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e
Sub.: Invitation of quotation for purchase of Laboratory items.

Sealed quotations are invited for purchase of following laboratory items for DPCC
laboratory. Specification of the laboratory items are as under:-

[S.No. Specification of the items Quantity

3 (in nos.)
1 Semi Micro Kjeldahl Nitrogen Assembly 02

Including heating block, completely quick fit glass assembly and tubes for
cooling water connections.

Kjeldhahl flask 500 ml

Distillation head with funnel.

S 19 ball.

Funnel plug.

Liebig condenser 200mm.

S 19 cup.

Joint clip S 19.

2 Nitrogen-Kjeldahl distillation Assembly 02
Kjeldhahl flask 500 ml
Multipe adapter two necks.
Dropping funnel - 50 ml.
Dropping funnel plug.

| Splash head — Vertical.
Liebig condenser 200mm.
Receiver adapter

3 Arsenic determination assembly (Gutseif) 02

Arsenic and general purpose set heater and support apparatus also required
100 ml bottle and inner fittng.

Arsenic tube is in two parts with ground flange ends can be connected
together by means of a spring.

4 Phenol distillation assembly 02
500 mi columetric flask.
Condenser.
Heating mental. -

5 Cyanide assembly with heating mental. 02

Cyanide and general purpose set heater and support apparatus also required
heating mental.

One liter round bottom flask three necks centre and two angled side necks,
Condenser.

Gas absorber dispenser tube equipped with medium porosity fritted outlet.

Sealed Quotation must reach in office of Delhi Pollution Control Committee, 4th Floor,
ISBT Bldg., Kashmere Gate, Delhi-110006 latest by 3.30 PM on 20.12.2010 and be dropped
in quotation box placed at Enquiry Counter. Only sealed quotations superscribing “Quotation

for Purchase of laboratory items” will be accepted. The agency must have valid TIN number
and shall attach a copy of TIN registration with the quotation.

() M.S., DPCC reserves all right to reject or accept any or all quotations without assigning
é any reason.
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Copy to:
L. Notice Board of DPCC.

2 ~SF. Scientist (IT):- with a request to direct the concerned for placing on DPCC
websites.
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