## CTO(CMC 2)
S.No. | Name of the Unit | Address of the Unit | Date of Application | Application ID No. | Category | Activity / Product | Consent Status | Authorization Status | Brief of the Case | Decisions taken by the Committee on 04.07.2014 | Action Taken w.r.t Decisions of Previous Meeting | Remarks | Decisions taken by the Committee on 29.09.2014
1 | Eros Hotel (a unit of Nehru Place Hotels Limited) [earlier Eros Hotel (Managed by Hilton)] | Nehru Place, Delhi -19. | 19.07.2013 | 4875 | Orange / Renewal | Five Star Hotel | Applied for Consent to Operate(Renewal) | NA | Commencement of Production……..Dec.1996, Total Plot Area (in sq. meter)……13656.63, Builtup Area (in sq. meter)….19303.45, Water Consumption (KLD)…..475, Ground Water (in KLD)…..350, Waste Water Generation (KLD)…..320, STP (installed, Capacity in KLD….350) . Adequacy Report of ETP dated July, 2010 issued GGSIPU, Effluent Analysis Report dated 09.07.13 issued by DPCC were submitted along with application and all the parameters were within the limits, Stack Monitoring Report of Boiler dated 04.07.2013 issued by DPCC and Stack Monitroing Report of combined Stack of D.G. Sets dated 08.07.2013 issued by Sophisticated Industrial Materials Analytic Labs Pvt. Ltd. submitted and found within limit,Noise Monitoring Report for D.G. Set(s) 1000 x2 KVA & 1250 KVA dated 03.07.2013 issued by DPCC submitted and found as per the prescribed norms. Inspection was carried out on 20.12.2013 and deficiencies were oberseved hotel had not installed STP though it was having ETP of 150 KLD capacity. Organic Waste Converter for compositing of organic waste was not provided. As decided Show Cause Notice for Refusal of Consent & for Closure u/s 33(A) of the Water Acts & u/s 31(A) of the Air Acts was issued to the Hotel on 19.02.2014 followed by Directions for Closure etc. on 23.04.2014. Reply was received and after submission of Bank Guarantee of Rs. 60 lacs , Directions were temporarily revoked on 30.04.2014 for 3 months.As per decision of committee on 08.05.2014 ,hotel vide letter dated 09.06.2014 has submitted copy of certificate of registration for three borewells from CGWA on 15.07.2014. Unit has submitted letter on 15.07.2014 along with Adequacy Report of installed STP, issued by Jamia Millia Islamia University in July 2014 and requested to revoke the closure directions and release the Bank Guarantee. The unit has aslo informed vide letter dated 03.07.2014 that they have installed Organic Waste Convertor but due to non supply of natural gas up to the Hotel, Oil Fired Boilers could not be converted into gas fired. Revocation of Directions u/s 33(A) of the Water Acts & u/s 31(A) of the Air Acts was issued to Hotel on 01.08.2014 with the condition that hotel shall submit the compliance report w.r.t MoU signed with the Dept. of Environment, Govt of NCT of Delhi regarding Green Hotel Guidelines. Hotel has submitted letter on 14.08.2014 & 08.09.2014 and informed that they have already complied all the points of MOU dated 03.06.2013 signed with the DOE except the conversion of oil fired boiler to gas fired boiler due to non supply of natural gas up to the hotel. Hotel has submitted letter dated 23.09.2014 along with photocopy of valid license from MCD & Police and also informed that they have changed the name of hotel from Eros Hotel managed by Hilton to Eros Hotel (a unit of Nehru Place Hotels Limited) w.e.f. 01.10.2013 and requested to issue Consent to Operate in the new name. | Case be deferred.
2 | Tivoli Garden Resort (A Unit of T.G. Leisure & Resorts Pvt. Ltd.) | Kh. No. 646-653, Main Chattarpur Temple Road, Chhatarpur, Delhi | 29.01.2014 | 6670 | Orange / Operate | Motel | Applied for Consent to Operate | NA | Commencement of Production…….. August, 2002 CTE granted on 17.07.2013 and valid upto 16.07.2014. Total Plot Area (in sq. meter)……26726.98, Builtup Area (in sq. meter)….3327.67, Water Consumption (KLD)….50, Ground Water (in KLD)…..50 (Borewell), Waste Water Generation (KLD)…..46, Domestic Effluent (KLD)….10, Trade Effluent (KLD)…..40, ETP (installed, Capacity in KLD….50) & adequate as per the Adequacy Report dated 24.01.2012 issued by Delhi Technological University (DTU) submitted. Effleuent Analysis Report dated 24.01.2014 issued by DTU. Stack Monitoring Report of stack attached to 2 Boilers dated 02.01.2014 issued by Sophisticated Industrial Materials Analytic Labs Pvt. Ltd. submitted and found within limit, Noise Monitoring Report for 4 D.G. Set(s) i.e. 125KVA, 250KVA, 380KVA and 750KVA (Acoustic Enclosure / Acoustic Treatment and Adequacy stack height Provided) dated 29.01.2014 issued by DPCC submitted and found as per the prescribed norms. As decided by the committee on 04.07.2014, Inspection was carried out by DPCC officials on 02.09.2014 and following were observed: 1.Unit found in operational . 2.STP found operational. 3.One Borewell observed inside the premises for which they have already disclosed in DJB on 22.07.2014 and also having NOC from CGWA dated 16.10.1998 for Ground Water extraction. 4.Proper channelization provided in the Kitchen. 5. Wet & Dry sludge observed at STP site. 6.. House keeping was good. | Inspection be carried out. | Inspection carried out on 02.09.2014
3 | Taj Sats Air Catering Ltd | IGI Airport Authority Complex, New Delhi | 07.02.2014 (without AR & NMR) | 6865 | Orange/Renewal | Flight Catering. | Applied for Consent to Operate (Renewal) CTOR issued on 27.11.2012 which is valid upto 08.02.2014 | NA | Commencement of Production……..1983, Total Plot Area (in sq. meter)……14440 Builtup Area (in sq. meter)….6018.91 Water Consumption (KLD)….377, Ground Water (in KLD)…..377 (3 Borewell) Waste Water Generation (KLD)…..195, Domestic Effluent (KLD)….15, Trade Effluent (KLD)….180, ETP installed ( 200 KLD Capacity, Biological Treatment ). Effluent analysis report dated 26-05-2014 of SIMA Lab meeting the prescribed standards. Stack monitoring report dated 06-02-2014 of Spectro Analytical Laboratories meeting the prescribed standards. Adequacy Report (Jamia Milia) and 3 Noise Monitoring Reports w.r.t. 4 D.G. Sets (2X625, 380 & 500KVA) of DPCC Lab submitted on 18.06.2014 meeting the prescribed standards. The unit was inspected on 12.06.2014 and deficiencies were observed. As approved, SCN u/s 33(A) of the Water Act was issued on 30.06.2014. The unit submitted its pointwise reply on 10.07.2014 regarding rectification carried out and informed that they have submitted several letters to DJB/ CGWA for permission for extraction of Ground water however permission is yet to be obtained. It has also been mentioned in the reply that they have 5 PNG based boiler, 1 hot water boiler and 4 D.G. Sets of 3X625 KVA & 380 KVA However only one stack monitoring report of boiler submitted and 1 NMR of 625 KVA DG Set not submitted. As decided ,another inspection was conducted on 02.09.2014 and following are the main observations : 1. Effluent Treatment Plant consisting of Grit Chamber, Oil and Grease Trap, aeration tank, clarifier, DMF, ACF etc. has been installed and found in operation. 3. The deficiencies observed in the last inspection on 12.06.2014 w.r.t. cleaning of Oil & Grease tank, functioning of Aeration tank, has been rectified. 4. The unit has 4 nos. of D. G. Sets installed and acoustic enclosure and adequate stack height provided. 5. The unit is having two PNG based Boilers (one working and one stand by) 6. The unit is having three borewells for ground water extraction and applied for permission to Delhi Jal Board for ground water extration ermission, but the same is yet to be received. 7. The unit has cleaned rain water harvesting pit and aslo installed solar water heating system. 8. The unit has provided the documents with respect to adequate programme to reuse the treated effluent. 9. The unit has provided refrigerated room for storage of food waste. 10. The unit has provided flow meters at the inlet & outlet of Effluent Treatment Plant and water treatment plant. | Case be deferred. | As decided on 08.05.2014, letters have been issued on12.06.2014 with a copy to DJB & concerned D C to submit Adequacy Report,Noise Monitoring Report and permission of Delhi Jal Board for extraction /drawl of Ground Water.Inspection was conducted on 12.06.2014 & 02.09.2014.
4 | Mapple Exotica (A unit of M/s Ninth Dimension Hotels & Resorts Pvt. Ltd.) | Khasra No. 5, 6, 7, 8, 9, 10, 11 & 14, village shahoorpur, chattarpur mandir marg, New Delhi-74 | 02.06.2014 | 8033 | Orange / Operate | Motels for 43 rooms | Applied for Consent to Operate | N/A | Commencement of Production……..June 2014, CTE…. Granted on 08.07.2013 Total Plot Area (in sq. meter)……21,806, Builtup Area (in sq. meter)….4,349.16, Water Consumption (KLD)….60, Ground Water (in KLD)…..Nil (From outside tankers only 60 KLD), Waste Water Generation (KLD)…..45, Domestic Effluent (KLD)….15, Trade Effluent (KLD)….30, STP (installed, Capacity in KLD….80) & adequate as per the Adequacy Report dated 31.01.2014 issued by Delhi Technological University (DTU) submitted. Effleuent Analysis Report dated 20.05.2014 issued by Sophisticated Industrial Materials Analytic Labs Pvt. Ltd., parameters within limit. Stack Monitoring Reports of Boilers dated 01.04.2014 and 31.03.2014, parameters within limit. Noise Monitoring Report for 2 D.G. Set(s) i.e. 650 KVA and 180 KVA, (Acoustic Enclosure / Acoustic Treatment and Adequacy stack height Provided) dated 01.04.2014 issued by Maulana Azad Medical College submitted and found as per the prescribed norms. As decided by the committee on 04.07.2014, Inspection was carried out by DPCC officials on 15.09.2014 and following are the main observations: 1. Motel cum Banquet found operational. 2. STP found installed and was also fully operational. 3. D.G. installed with acoustic enclosure and proper adequate stack height. 4.Two Nos. of Rain Water Harvesting Pit observed. 5. As informed water is being purchased fom out side. During inspection no groundwater extration observed. | Inspection be carried out. | Inspection carried out on 15.09.2014
5 | VISTA HOPITALITY PVT.LTD | 162 MG ROAD SULTANPUR | 04.09.2014 | 8951 | Orange Renewal | HOSPI TALITY | Applied for Consent to Operate (Renewal) | NA | Commencement of Production……..Aug 2008, CTE…. Granted on 17.10.2011 Total Plot Area (in sq. meter)……14000, Builtup Area (in sq. meter)….2152, Water Consumption (KLD)….25, Ground Water (in KLD)…..Nil (From outside tankers only 25 KLD), Waste Water Generation (KLD)…..25, Domestic Effluent (KLD)….5, Trade Effluent (KLD)….20, (1)STP ---- Biological (a) AR dated 12.08.2011 issued by DTU (b) Effluent analysis report dated 21-07-2014 issued by SOPHISTICATED INDUSTRIAL MATERIAL ANALYTIC LABS PVT. LTD. submitted. Effluent Test Report within Limit - Yes (2)ECS - N/A (a) AR dated issued by submitted. (b) Stack monitoring report dated 11-08-2014 issued by SOPHISTICATED INDUSTRIAL MATERIAL ANALYTIC LABS PVT. LTD. submitted. Stack Test Report within Limit - Yes (3)D.G.Set Noise Report : 1 (a) The unit has 1 D.G. Set(s) of 320 KVA. Noise monitoring report dated 24-07-2014 issued by DPCC submitted. Noise monitoring report within Limit - Yes (4) Inspection details:No (5) SCN u/s 31(A)/33(A)/5 of EPA details :No (6) Closure directions u/s 31(A)/33(A)/5 of EPA details :No MCD and Delhi Police License Valid up to 31.03.2015

## Annexure II(CTO CMC)(31.10.14)
S.No. | Name of the Unit | Address of the Unit | Date of Application | Application ID No. | Category | Activity / Product | Consent Status | Decisions taken by the Committee on 31.10.2014
1 | The Lalit New Delhi (A unit of Bharat Hotel Ltd.) | Barakhamba Avenue, Connaught Place, Delhi-01 | 28.09.2012 | 2756 | Orange (Renewal) | Five Star Hotel | Applied for Consent to Operate ( Renewal) | Renewal of Consent to Operate granted with condition that the hotel shall comply with the Notification dated 12.07.2010 for ground water and submit permission for extraction/drawl of ground water from NDMC / CGWA, within 3 months.
2 | Vardhman Land Developers Pvt. Ltd. / Pushpanjali Promoters Pvt. Ltd, | "TDI Mall" Plot No-11, Shivaji Place, District Centre, Raja Garden, New Delhi-27 | 06.03.2013 (Also applied for CTO on 10.12.2009) | 3715 | Orange (Operate) | Shopping cum Business Complex | Applied for Consent to Establish & Operate | Expedite Inspection and put up administratively.
3 | Ess Cee Cee & Associates (India) Pvt. Ltd | TDI Paragoan Plot No-2, Shivaji Place, District Centre, Raja Garden, Delhi -27 | 06.03.2013 (Also Applied for CTO on 10.12.2009) | 3716 | Orange (Operate) | Shopping cum Multiplex Complex | Applied for Consent to Establish & Operate | Expedite Inspection and put up administratively.
4 | Vivanta by Taj Ambassador | Sujan Singh Park ,New Delhi-03 | 08.07.2013 | 4784 | Orange (Renewal) | Five Star Hotel | Applied | Renewal of Consent to Operate granted.
5 | Eros Hotel (a unit of Nehru Place Hotels Limited) [earlier Eros Hotel (Managed by Hilton)] | Nehru Place, Delhi -19. | 19.07.2013 | 4875 | Orange / Renewal | Five Star Hotel | Applied for Consent to Operate(Renewal) | Renewal of Consent to Operate granted.
6 | Jaypee Vasant Continental | Basant Lok, Vasant Vihar, Delhi. | 19.11.2013 | 5988 | Orange Operate | Five Star Hotel | Applied for Consent to Operate (Renewal) | Renewal of Consent to Operate granted.
7 | Iris Hometel (S Chand and Company Ltd) | Plot No 1-C, Sub District Centre, Hari Nagar, Delhi | 18.12.2013 | 6189 | Orange/ Renewal | Hotel | Applied for Consent to Operate | Expedite Inspection.
8 | Niharika Steels | A-78, Rajasthani Udyog Nagar Industrial Area G.T.Karnal Road, Delhi -33 | 30.12.2013 | 6272 | Orange (Renewal) | Pickling and Rerolling of S.S. Sheet | Earlier CTR Granted valid upto 06.02.2007, after that applied for CTR on 08.02.2007 which is pending. | Issue letter seeking details of use/extraction / drawl of ground water through Borewell(s), if any, and submit copy of permission from DJB/CGWA in this regard within 15 days, failing which Consent shall be refused and concerned Dy. Commissioner shall be asked to take necessary action w.r.t Notification dated 12.07.2010 for ground water.
9 | S.B. Steel | S-58, Phase -I, Badli Industrial Estate, Delhi -42 | 31.12.2013 | 6283 | Orange (Renewal) | Pickling, Re Rolling And Annealing of S.S. Sheets. | Earlier CTO- Granted valid upto 09.05.2005, after that applied for CTR on 09.05.2005 which was rejected. Again, applied for CTR & CTE on 03.07.2007 and 20.09.2007 which are pending. | Issue letter seeking details of use/extraction / drawl of ground water through Borewell(s), if any, and submit copy of permission from DJB / CGWA in this regard within 15 days, failing which Consent shall be refused/ and concerned Dy. Commissioner shall be asked to take necessary action w.r.t Notification dated 12.07.2010 for ground water.
10 | Swift Chemical Corporation | S-56, Phase-I Badli Industrial Estate,Delhi-42 | 31.12.2013 | 6284 | Orange (Renewal) | Annealing and Pickling of S.S. Sheets. | Earlier CTO- Granted valid upto 09.05.2005, after that applied for CTR on 04.05.2005 which was rejected. Again, applied for CTR & CTE on 03.07.2007 and 20.09.2007 which are pending. | Issue letter seeking details of use/extraction / drawl of ground water through Borewell(s), if any, and submit copy of permission from DJB/CGWA in this regard within 15 days, failing which Consent shall be refused/revoked in this regard within 15 days, failing which Consent shall be refused and concerned Dy. Commissioner shall be asked to take necessary action w.r.t Notification dated 12.07.2010 for ground water.
11 | Rose Metal Industries | 62, S.S.I Industrial Area, G.T.K Road, Delhi -33 | 31.12.2013 | 6285 | Orange (Renewal) | Pickling, Rerolling and Annealing of Stainless Steel | Earlier, applied for CTR on 25.07.2005 and 16.06.2008 which are pending. | Issue letter seeking details of use/extraction / drawl of ground water through Borewell(s), if any, and submit copy of permission from DJB/CGWA in this regard within 15 days, failing which Consent shall be refused/revoked in this regard within 15 days, failing which Consent shall be refused and concerned Dy. Commissioner shall be asked to take necessary action w.r.t Notification dated 12.07.2010 for ground water.
12 | Bal Kishan Vinay Kumar | D-46, SMA Industrial Area, Delhi -33. | 31.12.2013 | 6286 | Orange (Renewal) | Pickling, Re Rolling and Annealing of S.S. Sheets | Earlier CTO- Granted valid upto 20.09.2007, after that applied for CTR on28.09.2007 which is pending. After that applied for CTE on 28.01.2009 which was rejected. | Issue letter seeking details of use/extraction / drawl of ground water through Borewell(s), if any, and submit copy of permission from DJB/CGWA in this regard within 15 days, failing which Consent shall be refused/revoked in this regard within 15 days, failing which Consent shall be refused and concerned Dy. Commissioner shall be asked to take necessary action w.r.t Notification dated 12.07.2010 for ground water.
13 | Vimlak World Enterprises | E-14, S.M.A. Industrial Area, G.T.K Road, Delhi -33 | 31.12.2013 | 6288 | Orange (Renewal) | Pickling , Annealing and Rerolling of Stainless Steel Sheets | Earlier, CTR was granted valid upto 25.07.2008. after that applied for renewal on 24.10.2008 which was rejected. | Issue letter seeking details of use/extraction / drawl of ground water through Borewell(s), if any, and submit copy of permission from DJB/CGWA in this regard within 15 days, failing which Consent shall be refused/revoked in this regard within 15 days, failing which Consent shall be refused and concerned Dy. Commissioner shall be asked to take necessary action w.r.t Notification dated 12.07.2010 for ground water.
14 | Lee Laa Overseas | E-13, S.M.A Industrial Area, G.T. Karnal Road, Delhi -33 | 31.12.2013 | 6289 | Orange (Renewal) | Pickling and Rerolling of Stainless Steel Sheets | Earlier CTO and CTR Granted valid upto 25.07.2005 and 25.07.2008 respectively, after that applied for CTR on 24.10.2008 which was rejected on 17.06.2011. | Issue letter seeking details of use/extraction / drawl of ground water through Borewell(s), if any, and submit copy of permission from DJB/CGWA in this regard within 15 days, failing which Consent shall be refused/revoked in this regard within 15 days, failing which Consent shall be refused and concerned Dy. Commissioner shall be asked to take necessary action w.r.t Notification dated 12.07.2010 for ground water.
15 | Mittal Steel Marketing | D-6, S.M.A Industrial Area, GTK Road, Delhi -33 | 31.12.2013 | 6290 | Orange(Renewal) | Pickling and Annealing of Stainless Steel Sheets | Earlier, CTR was granted valid upto 27.07.2007. after that applied for renewal on 11.07.2007 which is pending. | Issue letter seeking details of use/extraction / drawl of ground water through Borewell(s), if any, and submit copy of permission from DJB/CGWA in this regard within 15 days, failing which Consent shall be refused/revoked in this regard within 15 days, failing which Consent shall be refused and concerned Dy. Commissioner shall be asked to take necessary action w.r.t Notification dated 12.07.2010 for ground water.
16 | Shiv Industries | S-14, Phase I,Badli Industrial Estate,Delhi -42 | 31.12.2013 | 6291 | Orange (Renewal) | Pickling,Annealing and Rerolling of Stainless Steel Sheets | Earlier, applied for CTR on 04.04.2005 and 16.05.2008 which are pending. | Issue letter seeking details of use/extraction / drawl of ground water through Borewell(s), if any, and submit copy of permission from DJB/CGWA in this regard within 15 days, failing which Consent shall be refused/revoked in this regard within 15 days, failing which Consent shall be refused and concerned Dy. Commissioner shall be asked to take necessary action w.r.t Notification dated 12.07.2010 for ground water.
17 | S.S. Dawar & Company | Plot No. 16, S.S.I., G.T. Karnal Road,Delhi -33 | 31.12.2013 | 6293 | Orange (Renewal) | Pickling and Rerolling of Stainless Steel Sheets | Earlier, CTR was granted valid upto 25.07.2008. | Issue letter seeking details of use/extraction / drawl of ground water through Borewell(s), if any, and submit copy of permission from DJB/CGWA in this regard within 15 days, failing which Consent shall be refused/revoked in this regard within 15 days, failing which Consent shall be refused and concerned Dy. Commissioner shall be asked to take necessary action w.r.t Notification dated 12.07.2010 for ground water.
18 | Bajrang Engineering Works | D-45, S.M.A. Industrial Area, GTK Road, Delhi -33 | 31.12.2013 | 6294 | Orange (Renewal) | Pickling of Stainless Steel Sheets | Earlier, applied for CTO on 18.06.2008 which was rejected on17.06.2011 After that applied for CTE on 03.02.2009 which was also rejected. | Issue letter seeking details of use/extraction / drawl of ground water through Borewell(s), if any, and submit copy of permission from DJB/CGWA in this regard within 15 days, failing which Consent shall be refused/revoked in this regard within 15 days, failing which Consent shall be refused and concerned Dy. Commissioner shall be asked to take necessary action w.r.t Notification dated 12.07.2010 for ground water.
19 | Unico Steel (P) Ltd. | A-38, Rajasthani Udyog Nagar Industrial Area , G.T. Karnal Road ,Delhi -33 | 31.12.2013 | 6296 | Orange (Renewal) | Pickling,Annealing and Rerolling of Stainless Steel Sheets | Earlier, CTR was granted valid upto 11.02.2004. after that applied for renewal on 08.04.2004, 10.11.2005 and 19.01.2009 which were rejected. | Issue letter seeking details of use/extraction / drawl of ground water through Borewell(s), if any, and submit copy of permission from DJB/CGWA in this regard within 15 days, failing which Consent shall be refused in this regard within 15 days, failing which Consent shall be refused and concerned Dy. Commissioner shall be asked to take necessary action w.r.t Notification dated 12.07.2010 for ground water.
20 | Hanuman Steel Udyog | 63, S.S.I Industrial Area, GTK Road | 01.01.2014 | 6302 | Renewal | Pickling, annealing and re-rolling of S.S. Sheets | Applied | Issue letter seeking details of use/extraction / drawl of ground water through Borewell(s), if any, and submit copy of permission from DJB/CGWA in this regard within 15 days, failing which Consent shall be refused/revoked in this regard within 15 days, failing which Consent shall be refused and concerned Dy. Commissioner shall be asked to take necessary action w.r.t Notification dated 12.07.2010 for ground water.
21 | Vardhman Steels | 85, Ph-II, Badli Industrial Estate | 06.01.2014 | 6346 | Renewal | Pickling, annealing and re-rolling of S.S. Sheets | Applied | Issue letter seeking details of use/extraction / drawl of ground water through Borewell(s), if any, and submit copy of permission from DJB/CGWA in this regard within 15 days, failing which Consent shall be refused/revoked in this regard within 15 days, failing which Consent shall be refused and concerned Dy. Commissioner shall be asked to take necessary action w.r.t Notification dated 12.07.2010 for ground water.
22 | Surender Kumar and Co. | S-11, Ph-I, Badli Industrial Area | 06.01.2014 | 6348 | Orange Renewal | Pickling, annealing and re-rolling of S.S. Sheets | CTR Applied on 06.01.2014 | Issue letter seeking details of use/extraction / drawl of ground water through Borewell(s), if any, and submit copy of permission from DJB/CGWA in this regard within 15 days, failing which Consent shall be refused/revoked in this regard within 15 days, failing which Consent shall be refused and concerned Dy. Commissioner shall be asked to take necessary action w.r.t Notification dated 12.07.2010 for ground water.
23 | Suresh Traders and Engineers | Plot No 84, Pkt-E, Sec-4, Bawana Indl. Area,Delhi-39 | 08.01.2014 | 6363 | Orange Operate | Job work of Electroplating, Anodizing, Buffing and Painting (manually) | CTE granted valid upto 10.07.2014 | Consent to Operate granted.
24 | Prominent Hotels Ltd | 37, Shaheed Bhagat Singh Marg, Delhi-01 | 20.01.2014 | 6491 | Orange/ Renewal | Four Star Hotel | Applied | Renewal of Consent to Operate granted.
25 | Tivoli Garden Resort (A Unit of T.G. Leisure & Resorts Pvt. Ltd.) | Kh. No. 646-653, Main Chattarpur Temple Road, Chhatarpur, Delhi | 29.01.2014 | 6670 | Orange / Operate | Motel | Applied for Consent to Operate | Consent to Operate granted.
26 | Hitkari Brothers | Shed No. 5, Badli Industrial Area,Delhi-42 | 30.01.2014 | 6713 | Orange Operate | Pickling, annealing and rerolling of S.S. Sheets | CTO Applied on 30.01.2014 | Issue letter seeking details of use/extraction / drawl of ground water through Borewell(s), if any, and submit copy of permission from DJB/CGWA in this regard within 15 days, failing which Consent shall be refused/revoked in this regard within 15 days, failing which Consent shall be refused and concerned Dy. Commissioner shall be asked to take necessary action w.r.t Notification dated 12.07.2010 for ground water.
27 | Hotel Imperial | Janpath, New Delhi | 04.02.2014 | 6829 | Orange/Renewal | Hotel Operations | Applied for Consent to Operate (Renewal) | Case deferred.
28 | Mahavir Enterprises | B-8/2, PH-I, Badli Industrial Estate,Delhi-42 | 05.02.2014 | 6841 | CTO | Pickling, annealing and re-rolling of S.S. Sheets | Applied | Issue letter seeking details of use/extraction / drawl of ground water through Borewell(s), if any, and submit copy of permission from DJB/CGWA in this regard within 15 days, failing which Consent shall be refused/revoked in this regard within 15 days, failing which Consent shall be refused and concerned Dy. Commissioner shall be asked to take necessary action w.r.t Notification dated 12.07.2010 for ground water.
29 | Taj Sats Air Catering Ltd | IGI Airport Authority Complex, New Delhi | 07.02.2014 | 6865 | Orange/Renewal | Flight Catering. | Applied for Consent to Operate (Renewal) CTOR issued on 27.11.2012 which is valid upto 08.02.2014 | Issue letter asking the unit to submit permission from DJB/CGWA in this regard within 15 days, failing which Consent shall be refused/revoked for ground water extraction/drwal and noise monitoring report for 625 KVA DG Set.
30 | Tivoli Garden Motels (Pashupati Nath Resorts Pvt. Ltd.) | Village Jindpur, Main GTK Road, Near Narela, New Delhi-36 | 17.02.2014 | 6940 | Orange Operate | Motel 28 Rooms | CTE granted valid upto 23.11.2011. CTO granted valid upto 29.09.2013 | Consent to Operate granted.
31 | D G Estates Pvt Ltd. Park Plaza Hotel Services | 1-B, Sub District Centre, Hari Nagar,Delhi | 24.02.2014 | 6999 | Orange / Operate | Hotel | Applied for Consent to Operate | Inspection be carried out to verify the rectification measures taken by the unit.
32 | Inditex India Pvt Ltd | C-268, Ph-II, Mayapuri Industrial Area,Delhi-64. | 11.03.2014 | 7165 | Orange / Renewal | Mfg of Electic Control Panel with Phosphating and Painting | Applied | Issue letter seeking permission from DJB/CGWA regarding extraction / drwal of ground water, within 15 days, failing which Consent shall be refused and concerned Dy.Commissioner shall be asked to take necessary action w.r.t Notification dated 12.07.2010 for ground water.
33 | Mapple Exotica (A unit of M/s Ninth Dimension Hotels & Resorts Pvt. Ltd.) | Khasra No. 5, 6, 7, 8, 9, 10, 11 & 14, village shahoorpur, chattarpur mandir marg, New Delhi-74 | 02.06.2014 | 8033 | Orange / Operate | Motels for 43 rooms | Applied for Consent to Operate | Consent to Operate granted.
34 | Alkarma | 57, Najafgarh Road Industrial Area | 02.06.2014 | 8045 | Orange / Renewal | Engineering work with anodizing and phosphating and powder coating. | Applied for Consent to Operate (Renewal) | Expedite Inspection.
35 | Rayat Electricals | 7/22, Kirti Nagar Industrial Area | 05.06.2014 | 8079 | Orange / Renewal | Mfg. of assembling of electrical appliances with paint, varnish, powder coating and phosphating. | Applied for Consent to Operate (Renewal) | Expedite Inspection.
36 | JMC- CHEC (JV) | CBD Ground , Near Karkardooma Court , Shahdara, Delhi | 10.07.2014 | 8407 | Orange Operate | Casting Yard (for DMRC) with RMC Plants | Applied for Orange Operate | Letter seeking Adequacy Report of the Pollution Control Systems installed and other required information/ clarfications .
37 | Mother Dairy Fruit and VegetablesPvt. Ltd. | Mangolpuri Industrial Area, Phase-I, Delhi-83 | 12.08.2014 | 8744 | Orange Operate (Renewal) | Cold Storage distribution and IQF of Fruits and Vegetables | Earlier Renewal of CTO granted valid upto 21.06.2014 | Renewal of Consent to Operate granted.
38 | Parkash Enterprises | Shed No 20, DSIDC Jhilmil Industrial Area, Delhi -95. | 14.08.2014 | 8757 | Orange Renewal | Manufecturing of C.P. Bathroom fittings. | Applied for Orange Renewal | Issue letter seeking details of use/extraction / drawl of ground water through Borewell(s), if any, and submit copy of permission from DJB in this regard within 15 days, failing which Consent shall be refused and concerned Dy. Commissioner shall be asked to take necessary action w.r.t Notification dated 12.07.2010 for ground water.
39 | Sana Enterprises | C-2/3, Sector-1, DSIDC Bawana Industrial Area, Delhi-39 | 14.08.2014 | 8770 | Renewal | Mfg of table lamps & shades/ fancy lights with electroplating & lacquer | Applied | Renewal of Consent to Operate granted.
40 | Vista Hospitality Pvt. Ltd, | 162 MG Road, Sultanpur , Delhi | 04.09.2014 | 8951 | Orange Renewal | Motel & Restaurant | Applied for Consent to Operate (Renewal) | Renewal of Consent to Operate granted.
41 | Mother Dairy Fruit & Vegetables Pvt.Ltd.(Unit of Mother Dairy) | Patparganj, Delhi-92 | 12.09.2014 | 9027 | Orange Renewal | Packaged milk and milk Products | Applied for Orange Renewal | Issue letter seeking details of use/extraction / drawl of ground water through Borewell(s), if any, and submit copy of permission from DJB in this regard within 15 days, failing which Consent shall be refused and concerned Dy. Commissioner shall be asked to take necessary action w.r.t Notification dated 12.07.2010 for ground water.
42 | Vinod Enterprises | A-103/4, Wazirpur Industrial Area, Delhi-52. | 19.09.2014 | 9075 | Orange/Renewal | Manufacturing of Stainless steel Utensils with buffing. | CTO granted and valid upto 13.10.2014 | Case deferred and to be taken up alongwith other cases of 2(c )category in its chronology.
43 | Jugal Kishore Harbans Lal | B-40/1 & 2, Lawrence Road Industrial Area, Delhi-35 | 19.09.2014 | 9090 | Orange/Renewal | DALL BESAN AND FLOUR MIL. | CTO granted valid upto 17.05.2014 | Case deferred and to be taken up alongwith other cases of 2(c )category in its chronology.
44 | Civil Services Officers Institute | Vinay Marg, Chanakyapuri,New Delhi -21. | 25.09.2014 | 9122 | Orange/Operate | Club Activities | Applied | Consent to Operate granted.
45 | Parmamnand & Sons Food Products Pvt. Ltd.. | B-20,Lawrence Road Industrial Area ,Delhi-35 | 09.10.2014 | 9206 | Orange/Renewal | DALL MILL. | CTO granted and valid upto 20.12.2013 | Case deferred and to be taken up alongwith other cases of 2(c )category in its chronology.
46 | Globus Agrofoods Pvt. Ltd. | C-35/5, Lawrence Road Industrial Area, Delhi-35. | 09.10.2014 | 9207 | Orange/Operate | DALL MILLS. | CTE granted valid upto 05.03.2015 | Case deferred and to be taken up alongwith other cases of 2(c )category in its chronology.
47 | Sushil Ice Factory & Cold Storage Pvt. Ltd. | C-34/2, Lawrence Road Industrial Area,Delhi-35. | 13.10.2014 | 9246 | Orange/Renewal | Meat Processing and Cold Storage. | CTR granted valid upto 02.09.2013 | Case deferred and to be taken up alongwith other cases of 2(c )category in its chronology.
48 | Silver Oak Resort Hotel (Silver Oak Celebrations Pvt. Ltd.) | Kh No 63/82 Mundka Village, Main Rohtak Road, Delhi -41. | 14.10.2014 | 9252 | Orange/Renewal | Motel/Resort | Applied | Issue letter seeking clarification w.r.t no. of DG Sets.

## Annexure I(CTE CMC)(31.10.14)
S.No. | Name of the Unit | Address of the Unit | Date of Application | Application ID No. | Category | Activity / Product | Consent Status | Decisions taken by the Committee on 31.10.2014
1 | The Delhi Golf Club Ltd | Dr Zakhir Hussain Marg, New Delhi-03. | 25.04.2014 | 7621 | Orange/ Establish | Restaurant, bar and pub | Applied | Issue letter to DC (New Delhi) for taking necessary action w.r.t Notification dated 12.07.2010 regarding drawl of Ground Water through Borewells without having permission from NDMC. Also put up administratively w.r.t Show Cause Notice issued to the Club.
2 | InderprasthaHoliday Resorts Pvt Ltd | 42/44 MIN (1-14), 44/4 (4-16), 44/5 (2-8), 44/6 (4-16), 44/7 (4-16), 44/14/1 MIN (0-8), 44/15/1 MIN (1-12) of Villlage Tikri Kalan, New Delhi- 41. | 28.05.2014 | 7980 | Orange/ Establish | Motel and Banqueting | Applied | Expedite Inspection.
3 | Nile Impex India Pvt. Ltd | A-83/4, Wazirpur Indl Area,Delhi-52 | 07.07.2014 | 8350 | Orange Establish (Renewal) | Mfg. of bathroom fittings with electroplating | Applied | Consent to Establish (Extension) granted.
4 | Shiv Enterprises | 459, FIE, Patparganj Industrial Area, Delhi -92. | 2014-08-14 | 8761 | Orange Establish | Sanitary Bath Fittings | Applied for Orange Establish | Consent to Establish granted.
5 | Oswal Motors Pvt. Ltd. | A-17, Mangolpuri Industrial Area, ,Phase I, Delhi -83. | 25.09.2014 | 9131 | Orange/Establish | Service station two wheelers | Applied | Case deferred and to be taken up alongwith other cases of 2(c )category in its chronology.
6 | Gogia Flour Mills Pvt. Ltd. Unit -III | B-40, Lawrence Road Industrial Area, Delhi -35 | 25.09.2014 | 9134 | Orange/Establish | Flour Mill. | Applied | Case deferred and to be taken up alongwith other cases of 2(c )category in its chronology.
7 | Gogia Flour Mills Pvt. Ltd. Unit -II | GI-40/3, Lawrence Road Industrial Area, Delhi -35 | 25.09.2014 | 9135 | Orange/Establish | Flour Mill | Applied | Case deferred and to be taken up alongwith other cases of 2(c )category in its chronology.