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(iv)

As all 3 CBWTE operators were found emitting air emissions beyond the notified limits. a show cause notice for refusal of consent under the provisions of Air Act 1981

may be issued to 2 CBWTF operators namely M/s Synergy Waste Management (P) Ltd. and M/s SMS Water Grace BMW Pvt. Ltd. and, a show cause notice for

cancellation of consent under the provisions of Air Act 1981 may be issued to M/SBiotic Waste Solutions Pvt. Ltd.

As DPCC is having scarcity of resources including manpower, to overcome this 3 teams may be constituted for carrying out inspections in hospitals having 100 beds
and more and each team will have at least two doctors and a DPCC office representative(few trainees are (o be sensitized for BMW Rules).

The Committee also opined that National Green Tribunal may be apprised that Hospitals are very reluctant to follow Bio Medical Waste Management Rules and some
mechanism may be devised wherein Health Care Establishments may be asked to deposit Bank Guaraptee before grant of their Authorization. In case of their failure to
comply by BMW Rules this Bank Guarantee may be forfeited. The Bank Guarantee may be Rs 50.000.00 for hospitals with bed strength of 10 to 99 and Rs. 1.

00.000.00 for bed strength 100 and above. Legal cell DPCC may be asked to advise in this regard.

The meeting ended with a vote of thanks to the Chairman.
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	S.
No
	Name and Address of Unit 
	Govt./Pvt.
	Distt. No.
	Beds (No.)
	Authorisation Status
	CTO Status
	CTE Status
	ETP/STP Status
	Present Status 
	Decisions Recommended  

	1
	I.P Medical Corporation (Apollo Hospital) Ltd.,Sarita  Vihar , Mathura Road , New Delhi-44
	Pvt.
	S-003
	615
	Granted (Valid upto 18.06.15) 
	Applied on 07.01.13
	Granted
	Installed
	On 22.05.2013, Hon'ble National Green Tribunal(NGT) ordered for inspection of this HCE jointly by a team of DPCC and CPCB Officials. .The HCE was inspected as per orders of NGT and the status of compliance in terms of BMW Rules was filed before NGT on 19.7.2013. As HCE was found complying with BMW Rules, NGT discharged the HCE in its order dated 19.07.2013. 
	Issue Consent to Operate.

	2
	Batra Hospital & Medical Research Centre, 1, Tughlakabad Institutional Area,Mehrauli  Badarpur Road, Delhi
	Pvt.
	S-005
	495
	Granted (valid upto  26.04.15)
	Applied on 21.11.13   
	Granted
	Installed
	On 22.05.2013, Hon'ble National Green Tribunal(NGT) ordered for inspection of this HCE jointly by a team of DPCC and CPCB Officials. .The HCE was inspected as per orders of NGT and the status of compliance in terms of BMW Rules was filed before NGT on 19.7.2013. As HCE was found complying with BMW Rules, NGT discharged the HCE in its order dated 19.07.2013. However during inspection regarding checking of Rainwater harvesting system, it was noticed by the team that laundary effluent was being bye-passed. HCE has replied that ractification measure have been taken.
	Issue Show Cause Notice u/s 33(A) of the Water Act, 1974.

	3
	Holy Family Hospital, Okhla Road,Delhi-25.
	Pvt.
	S-006
	331
	Applied on 07.11.13
	Applied on 07.11.2013
	Granted
	Installed
	On 22.05.2013, Hon'ble National Green Tribunal(NGT) ordered for inspection of this HCE jointly by a team of DPCC and CPCB Officials. .The HCE was inspected as per orders of NGT and the status of compliance in terms of BMW Rules was filed before NGT on 19.7.2013. As HCE was found complying with BMW Rules, NGT discharged the HCE in its order dated 19.07.2013.
	Issue Authorization under BMW Rules and Issue Consent to Operate. 

	4
	Moolchand Hospital, Lajpat Nagar-III , New Delhi-24
	Pvt.
	S-008
	256
	Applied on 16.07.2013
	Applied on 04.08.2010 (three year lapsed)
	Granted
	Installed
	On 22.05.2013, Hon'ble National Green Tribunal(NGT) ordered for inspection of this HCE jointly by a team of DPCC and CPCB Officials. .The HCE was inspected as per orders of NGT and the status of compliance in terms of BMW Rules was filed before NGT on 19.7.2013. As HCE was found complying with BMW Rules, NGT discharged the HCE in its order dated 19.07.2013. 
	Issue Authorization under BMW Rules and letter to ask the HCE to apply for Consent to Operate afresh. 

	5
	G.B.Pant Hospital, J.L. Nehru Marg, New Delhi-2
	Govt.
	C-002
	601
	Applied for renewal on  14.06.2013
	Applied for renewal on 22.08.2013
	Granted
(for additional Block/Building.)
	installed
	On 22.05.2013, Hon'ble National Green Tribunal(NGT) ordered for inspection of this HCE jointly by a team of DPCC and CPCB Officials. .The HCE was inspected as per orders of NGT and the status of compliance in terms of BMW Rules was filed before NGT on 19.7.2013. As HCE was found complying with BMW Rules, NGT discharged the HCE in its order dated 19.07.2013.
	Issue Authorization under BMW Rules. Issue letter to confirm the exact number of D.G. Sets in possession of the hospital in view of varying figure mentioned in the record submitted to DPCC by the hospital authorities. 

	6
	St. Stephen's Hospital Tis Hazari, Delhi-54
	Pvt.
	N-002
	595
	Applied on 11-06-2012
	Applied on 21.11.11
	Granted
	Installed
	On 22.05.2013, Hon'ble National Green Tribunal(NGT) ordered for inspection of this HCE jointly by a team of DPCC and CPCB Officials. .The HCE was inspected as per orders of NGT and the status of compliance in terms of BMW Rules was filed before NGT on 19.7.2013. As HCE was found complying with BMW Rules, NGT discharged the HCE in its order dated 19.07.2013.
	Issue Authorization under BMW Rules and Issue Consent to Opeate.

	7
	Dr. B.L.Kapur Memorial Hospital, Pusa Road, Delhi  05
	Pvt.
	C-108
	300
	Granted
	Granted
	Granted
	Installed
	On 22.05.2013, Hon'ble National Green Tribunal(NGT) ordered for inspection of this HCE jointly by a team of DPCC and CPCB Officials. .The HCE was inspected as per orders of NGT and the status of compliance in terms of BMW Rules was filed before NGT on 19.7.2013. As HCE was found complying with BMW Rules, NGT discharged the HCE in its order dated 19.07.2013.
	No action at present.

	8
	Sir Ganga Ram Hospital, Rajender Nagar, New Delhi - 60
	Pvt.
	C-005
	675
	Granted (valid upto 17.03.13) 
	Applied on 14.01.13 (earlier valid upto 17.03.13) 
	Granted  (request for extention of CTE required for extention & modernization of Sir ganga ram hospital Phase-I.)
	Installed
	On 22.05.2013, Hon'ble National Green Tribunal (NGT) ordered for inspection of this HCE jointly by a team of DPCC and CPCB Officials. The HCE was inspected as per orders of NGT and the status of compliance in terms of BMW Rules was filed before NGT on 19.7.2013. As HCE was found complying with BMW Rules, NGT discharged the HCE in its order dated 19.07.2013.
	Issue Authorization under BMW Rules. Issue Extension of Consent to Establish and issue Renewal of Consent to Operate.

	9
	Jaipur Golden Hospital, 2, Institutional Area , Sector-3, Rohini, Delhi-85
	Pvt.
	NW-003
	256
	Granted (valid upto 21.06.14)
	Applied on 05.09.11
	Not applied for additional block
	Installed 
	On 22.05.2013, Hon'ble National Green Tribunal(NGT) ordered for inspection of this HCE jointly by a team of DPCC and CPCB Officials. .The HCE was inspected as per orders of NGT and the status of compliance in terms of BMW Rules was filed before NGT on 19.7.2013. As HCE was found complying with BMW Rules, NGT discharged the HCE in its order dated 19.07.2013.
	Issue Consent to Operate. 

	10
	Rajiv Gandhi Cancer Institute &Research Centre, Sector-V, Rohini, Delhi-85
	Pvt.
	NW-005
	241
	Applied on 21.05.12
	Applied on 13.04.10.
	Granted
	Installed
	On 22.05.2013, Hon'ble National Green Tribunal(NGT) ordered for inspection of this HCE jointly by a team of DPCC and CPCB Officials. .The HCE was inspected as per orders of NGT and the status of compliance in terms of BMW Rules was filed before NGT on 19.7.2013. As HCE was found complying with BMW Rules, NGT discharged the HCE in its order dated 19.07.2013.
	 Issue Authorization under BMW Rule and Consent to Operate as HCE has applied for consent to operate on 21.01.2014 afresh. Earlier issued consent to operate application dated 13.04.2010 be made infructuous.

	11
	Rajiv Gandhi Super Speciality Hospital, Near GTB Hospital, Tahirpur, Delhi-93
	Govt.
	E-245
	650 (only OPD functional)
	Granted (valid upto 27.09.13) Applied for renewal on 25.06.2013
	Applied on 28.09.10
	Granted
	Installed (not operational)
	On 22.05.2013, Hon'ble National Green Tribunal(NGT) ordered for inspection of this HCE jointly by a team of DPCC and CPCB Officials. .The HCE was inspected as per orders of NGT and the status of compliance in terms of BMW Rules was filed before NGT on 19.7.2013. As HCE was found complying with BMW Rules, NGT discharged the HCE in its order dated 19.07.2013.
	Issue Authorization under BMW Rules and letter to Ask the HCE to apply for consent to operate afresh. 

	12
	Dharamshila Cancer Hospital & Research Centre, Vasundhra Enclave, Delhi-96
	Pvt.
	E-005
	200
	Applied on 02.05.2013.
	Granted (valid upto 20.06.2013.)
	Granted
	Installed
	On 22.05.2013, Hon'ble National Green Tribunal(NGT) ordered for inspection of this HCE jointly by a team of DPCC and CPCB Officials. .The HCE was inspected as per orders of NGT and the status of compliance in terms of BMW Rules was filed before NGT on 19.7.2013. As HCE was found complying with BMW Rules, NGT discharged the HCE in its order dated 19.07.2013.
	Issue Authorization under BMW Rules and Issue Consent to Operate in view of That HCE has applied for consent to operate on 12.08.2013. 

	13
	Max Super Speciality Hospital (A unit of Balaji Medical & Diagnostic Research Centre) [Earlier Max Balaji Hospital] 108-A ,  IP Extension, Patparganj, Delhi-92
	Pvt.
	E-186
	154
	Granted (valid up to 14.09.13)
	Applied for renewal on 15.09.10 (Previous valid upto 17.08.10)
	Granted
	Installed
	On 22.05.2013, Hon'ble National Green Tribunal(NGT) ordered for inspection of this HCE jointly by a team of DPCC and CPCB Officials. .The HCE was inspected as per orders of NGT and the status of compliance in terms of BMW Rules was filed before NGT on 19.7.2013. As HCE was found complying with BMW Rules, NGT discharged the HCE in its order dated 19.07.2013.
	Issue authorization under BMW Rules and Issue Consent to Operate w.r.t. new application filed on 10.12.2012 and 23.08.2013 respectively. 

	14
	M/s Fortis Escorts Heart Institute and Research Centre, Okhla Road, New Delhi-25
	Pvt. 
	 
	310
	Applied on 06.06.2012(last authoriztion valid till 11.06.2012)
	Valid till 10.5.2014
	Granted
	Installed
	On 22.05.2013, Hon'ble National Green Tribunal(NGT) ordered for inspection of this HCE jointly by a team of DPCC and CPCB Officials. The HCE was inspected as per orders of NGT and the status of compliance in terms of BMW Rules was filed before NGT on 19.7.2013. As HCE was found complying with BMW Rules, NGT discharged the HCE in its order dated 19.07.2013.
	Issue Authorization under BMW Rules.

	15
	Hedgewar  Arogya Sansthan, Karkardooma, east Arjun Nagar, Delhi -32
	Govt.
	E-158
	200
	Applied on 08.05.2013.
	Granted
	installed
	 
	On 22.05.2013, Hon'ble National Green Tribunal(NGT) ordered for inspection of this HCE jointly by a team of DPCC and CPCB Officials. .The HCE was inspected as per orders of NGT and the status of compliance in terms of BMW Rules was filed before NGT on 19.7.2013. As HCE was found complying with BMW Rules, NGT discharged the HCE in its order dated 19.07.2013.
	Applied on 08.5.2013. Issue Authorization under BMW Rules. 


	Sl.No
	Name and Address of Unit 
	Govt./Pvt.
	Distt. No.
	Beds (No.)
	Authorisation Status
	CTO Status
	CTE Status
	ETP/STP Status
	Present Status 
	Decisions Recommended  

	1
	All India Institute of Medical Sciences, Ansari Nagar, New Delhi-29
	Govt.
	S-001
	2126
	Granted (valid upto09.05.14)
	Applied on 17.06.2011
	Granted
	Installed
	The HCE was inspected by Committee  constituted by NGT in its order dated 23.8.2013 consisting of MS, DPCC, MS, CPCB and  Mr. G. Suryanarayana, Head EQM Division from EPTRI Hyderabad. It was observed by the Committee that the issues raised during the earlier inspection with respect to biomedical waste management are complied with. However, the STP was found non-operational. Thereafter HCE has submitted a letter wherein they have intimated that the STP is operational now.
	Ask the HCE to submit adequacy report and fresh effluent analysis report from emapnelled agencies of DPCC.

	2
	Lala Ram Swaroop Institute of Tuberculosis and Respiratory Diseases,  Sri Aurobindo Marg New Delhi-30
	Govt. 
	S-004
	520
	Granted (valid upto 22.03.14).
	Applied on 18.04.11.
	Granted
	STP installed
	The HCE was inspected by Committee  constituted by NGT in its order dated 23.8.2013 consisting of MS, DPCC, MS, CPCB and  Mr. G. Suryanarayana, Head EQM Division from EPTRI Hyderabad. It was observed by the Committee that  that the hospital has resolved the issues observed during earlier inspections with respect to Bio-medical waste management and is now sending the entire biomedical waste to an approved Common Biomedical Waste Treatment Facility for treatment and disposal. The STP was functioning. The committee has recommended dispensing use of the existing incinerator considering its large designed capacity vis.-a.vis.the quantum of waste generated and operational aspect.
	Issue Authorization under BMW Rules and issue Consent to operate. 

	3
	Maharaja Agrasen Hospital, West Punjabi Bagh, New Delhi- 26
	Pvt.
	W-003
	380
	Applied on 11.04.13 
	 Applied on 13.12.2013
	Granted
	In process of augmenting STP's capacity
	The HCE was inspected by Committee  constituted by NGT in its order dated 23.8.2013 consisting of MS, DPCC, MS, CPCB and  Mr. G. Suryanarayana, Head EQM Division from EPTRI Hyderabad. It was observed by the Committee it was observed that the hospital has resolved the issues observed during earlier inspections with respect to Bio-medical waste management except that the hospital is in process of augmenting the capacity of existing STP for which they have sought time.
	Issue Authorization and ask the HCE to submit the status of upgradation of STP.

	4
	Northern Railway Central Hospital, Basant Lane, New  Delhi-55
	 
	C-006
	421
	Applied on 07.01.11.
	Applied on 19.11.07
	Granted
	not installed
	The HCE was inspected by Committee  constituted by NGT in its order dated 23.8.2013 consisting of MS, DPCC, MS, CPCB and  Mr. G. Suryanarayana, Head EQM Division from EPTRI Hyderabad. It was observed that the hospital has resolved the issues observed during earlier inspections with respect to Bio-Medical waste management except that the hospital is in process of installing STP for which they have sought time till November, 2014.
	Ask the HCE to apply for authorization and consent to operate afresh as a period of three years since its last application already lapsed. Also ask the HCE to inform the status of installation of STP. 

	5
	Ram Manohar Lohia Hospital, Baba Kharak Singh Marg New Delhi-1
	Govt.
	ND-002
	1000
	Applied on 14.08.2013
	Applied on 15.07.13
	Granted
	Under process
	The HCE was inspected by Committee  constituted by NGT in its order dated 23.8.2013 consisting of MS, DPCC, MS, CPCB and  Mr. G. Suryanarayana, Head EQM Division from EPTRI Hyderabad. It was observed by the Committee that  hospital has resolved the issues observed during earlier inspections with respect to Bio-medical waste management except for installation of ETP/ STP.
	Issue Authorization and ask the HCE to inform the status of installation of STP. 

	6
	E.S.I. Hospital, Basai Darapur ,Ring Road, New Delhi-15
	Govt.
	W-001
	600
	Applied on 14.08.2013
	Applied on 28.11.13
	Granted(for existing building)
	Dismantled due to expansion of building
	The HCE was inspected by Committee  constituted by NGT in its order dated 23.8.2013 consisting of MS, DPCC, MS, CPCB and  Mr. G. Suryanarayana, Head EQM Division from EPTRI Hyderabad. It was observed by the Committee that  hospital has resolved the issues observed during earlier inspections with respect to Bio-medical waste management except for installation of ETP/ STP.
	Issue Authorization and ask the HCE to inform the status of installation of STP. 

	7
	ESI Hospital, Sector-15. Rohini, Delhi-85
	Govt. 
	NW-010
	300
	Applied on 01.03.11
	Applied on 18.07.08
(3 years lapsed)    
	Granted
	Under process
	The HCE was inspected by Committee  constituted by NGT in its order dated 23.8.2013 consisting of MS, DPCC, MS, CPCB and  Mr. G. Suryanarayana, Head EQM Division from EPTRI Hyderabad. It was observed by the Committee that  hospital has resolved the issues observed during earlier inspections with respect to Bio-medical waste management except for installation of ETP/ STP.
	Issue Authorization and ask the HCE to inform the status of installation of STP. 

	8
	M.V.I.D Hospital (MCD),  Kingsway Camp, Delhi-9
	Govt. (MCD)
	NW-004
	227
	Granted (valid upto 08.06.14)
	Applied on 05.09.13
	Granted
	Under process 
	The HCE was inspected by Committee  constituted by NGT in its order dated 23.8.2013 consisting of MS, DPCC, MS, CPCB and  Mr. G. Suryanarayana, Head EQM Division from EPTRI Hyderabad. It was observed by the Committee that  hospital has resolved the issues observed during earlier inspections with respect to Bio-medical waste management except for installation of ETP/ STP.
	Ask the HCE to inform the status of installation of STP. 

	9, 10, 11
	Lady Hardinge Medical College and Associated Hospitals, Shaheed Bhagat Singh Marg, New Delhi-01
	Govt.
	ND-001
	1247
	Applied on 22.5.2013
	Applied on 23.11.09
	Granted for existing building.
	Under process
	The HCE was inspected by Committee  constituted by NGT in its order dated 23.8.2013 consisting of MS, DPCC, MS, CPCB and  Mr. G. Suryanarayana, Head EQM Division from EPTRI Hyderabad. It was observed by the Committee the hospital was complying with the provisions of Bio-Medical Waste (Management & Handling) Rules, 1998 except for the installation of ETP/STP.
	Issue Authorization and ask the HCE to inform the status of installation of STP. 

	12
	Hindu Rao Hospital , Delhi-06
	Govt.
	N-001
	980
	Applied on 24.05.2013
	Applied on 12.05.09 (3 years lapsed)
	Granted
	under process
	The HCE was inspected by Committee  constituted by NGT in its order dated 23.8.2013 consisting of MS, DPCC, MS, CPCB and  Mr. G. Suryanarayana, Head EQM Division from EPTRI Hyderabad.  The committee observed that the hospital  are complying with the provisions of Bio-Medical Waste (management & Handling), Rules, 1998 except for the installation of ETP/ STP, for which time schedule has been provided.
	Issue Authorization and ask the HCE to inform the status of installation of STP. 

	13
	Rajan Babu Institute for Pulmonary Medicine & Tuberculosis (RBTB Hospital),  GTB Nagar, Kingsway Camp,Delhi-9 
	Govt. (MCD)
	NW-001
	1155
	Applied on 24.05.13
	Applied on 12.10.10   
	Applied on 12.10.10
	Under process
	The HCE was inspected by Committee  constituted by NGT in its order dated 23.8.2013 consisting of MS, DPCC, MS, CPCB and  Mr. G. Suryanarayana, Head EQM Division from EPTRI Hyderabad. It was observed by the Committee the hospital was complying with the provisions of Bio-Medical Waste (Management & Handling) Rules, 1998 except for the installation of ETP/STP.
	Issue Authorization and ask the HCE to inform the status of installation of STP. 

	14
	Safdarjung Hospital, Aurobindo Marg New Delhi-29
	Govt.
	S-002
	1531
	Applied on 18.04.2013.
	Applied on 09.02.12
	Granted 
	Under process
	The HCE was inspected by Committee  constituted by NGT in its order dated 23.8.2013 consisting of MS, DPCC, MS, CPCB and  Mr. G. Suryanarayana, Head EQM Division from EPTRI Hyderabad. It was observed by the Committee the hospital was complying with the provisions of Bio-Medical Waste (Management & Handling) Rules, 1998 except for the installation of ETP/STP.However, Committee also reported that the disposal of general waste was found un-satisfactory and needs improvement.
	Issue Authorization and ask the HCE to inform the status of installation of STP. 

	15
	E.S.I Hospital, Jhilmil, Delhi-95
	 
	E-001
	300
	Applied on 21.03.2013.
	Applied on 10.9.10
	Granted
	matter under process 
	The HCE was inspected by Committee  constituted by NGT in its order dated 23.8.2013 consisting of MS, DPCC, MS, CPCB and  Mr. G. Suryanarayana, Head EQM Division from EPTRI Hyderabad the committee  observed that the hospital are complying with the provisions of Bio-Medical Waste (management & Handling) Rules, 1998 except for the installation of ETP/ STP, for which time schedule has been provided.
	Issue Authorization and ask the HCE to inform the status of installation of STP. 


The HCE could not be carried out as the resident doctors of hospital were on strike on both the days of inspection.                     Date of Inspection: 09/7/2013                      

Bio Medical Waste Management:              (a)Yellow and red covered containers labelled with bio-hazard symbol provided for BMW and black containers for general waste. (b) Puncture proof sharp containersprovided for sharp waste. (c) Closed, colored and labelled trolleys were found for transfer of waste from ward to isolated site.(d) Isolated storage site is having separate compartments for incinerable and autoclavable waste and was provided with display board and drainage facility e) Autoclaving and shredding of the corresponding waste is done in the hospital only.                        

	ETP/STP Status: STP found installed but needs lot of improvement. As such it is at present working as storage tanks of septic water.  
	Inspection be conduted. 

	17
	Baba Saheb Ambedkar Hospital, Sector-6, Rohini, Delhi-85
	Govt.
	NW-002
	550
	Valid till 18.09.2013
	Applied on 25.10.2013
	Granted
	Installed
	The HCE was inspected by Committee  constituted by NGT in its order dated 23.8.2013 consisting of MS, DPCC, MS, CPCB and  Mr. G. Suryanarayana, Head EQM Division from EPTRI Hyderabad. It was observed that hospital is now complying with the provisions of Bio-Medical Waste (Managemnet & Handling), Rules, 1998.
	Issue Authorization and  Consent to Operate. 


	S. No.
	Name & Address
	Deficiencies observed w.r.t BMW Rules
	Reply received if any
	Authorization Status
	CTO
	CTE
	ETP/STP
	Remarks 
	Present status
	Decision

	1
	Sant Parmanand Hospital, 18, Shamnath Marg, Civil Lines, Delhi-54
	1. Biohazard symbol needs to be provided on BMW containers.

2. Segregation of Bio-Medical waste needs improvement as plastic waste was observed in yellow containers. (Meant for waste to be incinerated).

3. Proper colour coding of containers with biohazard symbol needs to be done

4. Sharp needs to be handled as per BMW Rules.

5. Trolley washing area needs to be provided.

6. Yellow containers needs to be provided at isolated biomedical waste storage site.

7. Proper board with biohazard symbol needs to be provided at storage site.
8. Proper labels need to be provided on bags as per BMW rules before handling it to CBWTF.
9. The STP was found non operational & no mechanism could be shown to decide as to whether entire waste water was reaching STP.

10. Record keeping of BMW needs much improvement


	1. Biohazard symbols have been provided as and where necessary. However where ever they have been found short the same have been pasted.

2. BMW is being segregated as per the laid down norms and further adequate training is being given on daily basis.

3. Proper color coding with biohazard symbol is being maintained as per the guidelines except at one place which happened to have been cleaned just before the inspection.

4. Sharp are being maintained in blue containers however as per advice of the inspecting team the necessary amendments have been made and the staff has been briefed accordingly about how to handle the sharps. Since there is a very rapid turnover of the nursing staff not only in our hospital but in all hospitals. In view of which it is at times difficult to brief each and every nursing staff on BMW. However all out efforts are being made to brief as many staff as possible on a daily basis.

5. Trolleys washing area has already been marked as instructed by the inspecting team.

6. Yellow containers have been organized and placed at the isolated Biomedical Waste storage site.
7. As per the suggestion of the inspecting team a proper board with biohazard symbol has been provided and placed at the isolated BMW site. 

8. Proper labels for pasting on the biomedical waste bags provided as per the suggestion of the inspecting team. 

9. The STP plant has been working on a regular basis and the reports of the effluent waste duly authenticated by the government recognised agency have been regularly deposited in DPCC. However as a matter of chance the motor of the STP went out of order just 2 days prior to the day of inspection and was sent for repairing (copy attached). The same has been installed after repairs at the STP plant and as per the suggestion of the inspecting team the flow meters for inflow and outflow at the STP are being installed shortly as the order for the same has been placed (Copy attached). The necessary maintenance and meters shall be installed very shortly within a fortnight and intimated to your office.

10. An all out efforts is being made to further improvement our record keeping as per advice of the inspecting team.


	Applied on 

11-Dec-13


	Applied on  19-Dec-13


	Granted
	Installed
	Reply not satisfactory. 

-Label is not as prescribed under BMW Rules. 

– No records of ETP operation provided.

- Records of BMW management is not proper. 
	SCN U/s 5 of EPA has been issued to the HCE. The status of the HCE has been apprised to NGT on 06.01.2014
	Closure directions issued. Decision taken on file ratified.  

	S. No.
	Name & Address
	Deficiencies observed w.r.t BMW Rules
	Reply received if any
	Authorization Status
	CTO
	CTE
	ETP/STP
	Remarks 
	Present status
	Decision

	2
	Metro Hospital & Cancer Institute (Earlier Anand Hospital) 21, Community Centre, Preet Vihar, Delhi-92
	1. Segregation of waste needs improvement as broken ampules were being stored in blue polythene bags in place of puncture proof containers.

2. Cytotoxic waste needs to be stored as per BMW rules.

3. The record of BMW needs to be improved.

4. The trolleys meant for transfer of BMW need to be labelled with biohazard symbols.

5. No trolley washing area exists.

6. The BMW needs to be handed over to CBWTF so as to adhere to BMW rules.

7. Isolated storage site of appropriate size needs to be provided with proper roof, drainage facility and display board.

8. No labels as per schedule –IV found on bags before handing it over to CBWTF.

9. It was observed that BMW was there in general waste bags as well as lying in open.

10. No records could be shown to prove that entire effluent generated is treated. Water Consumption details could not be shown.

11. As per the available records the quantum of BMW appears to be less

12. No sludge records could be shown.


	1. Broken ampoules are being disposed of in cardboard boxes in blue bags as puncture proof containers.

2. New bags with Cytotoxic (C) embossed on waste bags procured and are being used. 
3. Records of BMW are now being maintained as per BMW norms. 

4. Trolleys have been labelled with bio hazard symbol 

5. Trolley washing area has been earmarked and tiled 
6. BMW handover record now being maintained as per norms.
7. Isolated storage site increased with concrete  roof and proper drainage under construction-would be ready within next 15 days 
8. Labels as per schedule IV over bags being used 
9. No Specific reply received

10. STP Plant is functional. Plant was not operated on the inspection day due to mechanical failure. Now capacity of tank is being enhanced and would be completed in the next 60 days at the most.

11. No Specific reply received

12. No Specific reply received

Some photos attached.

	Applied on 29-Apr-13


	Applied on  08-Mar-11


	Applied for CTE on 07.02.2013


	Installed to be augmented
	Reply not satisfactory.
	SCN U/s 5 of EPA has been issued to the HCE. The status of the HCE has been apprised to NGT on 06.01.2014
	File under submission for issuance of closure directions. Closure directions be issued. 

	S. No.
	Name & Address
	Deficiencies observed w.r.t BMW Rules
	Reply received if any
	Authorization Status
	CTO
	CTE
	ETP/STP
	Remarks 
	Present status
	Decision

	3
	Fortis Lt. Rajan Dhall Charitable Trust, Sector- B, Pocket-1, Aruna Asaf Ali Road, Vasant Kunj, Delhi-70
	1. Potentially sharp waste need to be transferred in puncture proof containers. 

2. Time limit needs to be adhere for transfer of BMW.

3. Waste is transferred in trolleys which are not provided with bi-hazard symbols.

4. General waste & Bio-Medical waste need to be transferred in different trolleys.

5. Infected waste need to be put up/stored in proper bins. At some places bags were seen lying on ground.

6. Isolated storage site needs to be provided with proper symbol and board.

7. At BMW isolated storage site proper shed/roof needs to be provided & present shed needs improvement.

8. ETP operation needs improvement. 

9. Log book of the ETP needs to be maintained properly.

10. Labelling on the bags needs to be as per schedule-IV before handling the waste to CBWTF.


	1. Blue bags containing sharps is transfer in bins/trolleys. 

2 Done. 

3. The bio-Hazard symbol has been paste on Bio-Medical Waste transport trolley. 

4. Separate trolley has been introduced to bring the BMW & general waste from the floor.

5. Placed to plastic 60 litre. Bins with appropriate garbage bag & sign. (Photo attached)

6. The Bio-Hazard symbol has been painted on the door & made an information board of the central garbage area. (Photo attached)

7. It has been observed by the DPCC team that there is passes behind the shed where water may enter in the shed area, the point has been identified & covered by the sheets & points closed.

8. Process has been improved as advised by DPCC team.

9. Log book started & being maintained.

10. The garbage bags have the schedule IV printed on the bags now. (photo attached)

Photos and documents attached.

	Applied on 15-Jul-13


	Applied on  08-Jul-13


	Granted
	Installed
	Reply found satisfactory.
	The status of the HCE has been apprised to NGT on 06.01.2014
	Inspection be conducted.

	S. No.
	Name & Address
	Deficiencies observed w.r.t BMW Rules
	Reply received if any
	Authorization Status
	CTO
	CTE
	ETP/STP
	Remarks 
	Present status
	Decision

	4
	Tirath Ram Shah Hospital, 2 A, RBL, Ishwar Das Sawhney Marg, Rajpur Road, New Delhi-54
	1. Proper segregation of BMW is required as glass bottles (of medicines) presently were being disposed with general waste.  BMW was observed in black bags too.

2. All the bins needs to be labelled with biohazard symbol. Such symbols on general waste bins need to be discontinued.

3. Hospital needs to dispose off their sharp waste to adhere to the time mentioned in BMW Rules.

4. Hospital needs to provide covered and labelled trolleys for transfer of Bio Medical  Waste

5. Trolley washing area needs to be provided.

6. Separate trolleys for general & BMW are required

7. Proper ventilation needs to be provided in isolated site.

8. Labels as per schedule IV of BMW Rules need to be provided before handling over BMW to CBWTF operator.

9. Proper records of handling over BMW to CBWTF operator needs to be provided.

10. ETP/STP was found non operational. No record indicating quantum of waste water treated found maintained.


	1. It is ensured that the Bio Medical Waste goes in the prescribed yellow, red and blue bags, Accordingly, glass bottles would now be disposed off in blue bags henceforth.

2. As per your directions we have labelled all the bins with bio-hazard symbol and removed the bio-hazard symbol from general waste.

3. Sharp waste is now being sent daily as per BMW requirements in the prescribed sharp containers.

4. We have already ordered for two covered trolleys, one for use of Bio Medical Waste and other for general waste as per your directions.

5. We have provided trolley washing area and the same has been fenced and the trolleys are now being washed there.

6. We have already ordered for two covered trolleys, one for use of Bio Medical Waste and other for general waste as per your directions.

7. The exhaust fan has been provided to cover ventilation needs in the room.

8. The labels as per schedule of BMW rules with name of Tirath Ram Shah Hospital are being provided as per your directions.

9. We have implemented the format provided by your goodself showing date wise bed occupancy, no. of surgeries, yellow, red, blue and sharps, total, vehicle no. time, name of driver of synergy, name and signature as per your kind directions.

10. In respect of STP/ETP we would like to mention that the hospital is meeting its total requirement of water through Delhi Jal Board supply only. In case of deficiency, the same is met through ground water borewell. The supply from DJB is metered only. We are enclosing herewith an extract (copy) from the log book of STP indicating functioning of various equipments like air blower and other pump, sewage pump in working order. 

	Applied on 14-Feb-13


	Applied on  21-Feb-13


	Granted
	Installed
	Reply not satisfactory. No data on the present water consumption and effluent generated has been  provided by the hospital to know if the installed capacity of the ETP is adequate or not.
	SCN U/s 5 of EPA has been issued to the HCE. The status of the HCE has been apprised to NGT on 06.01.2014
	Notice u/s 33(A) of the Water Act. Inspection be conducted for checking the compliance of BMW Rules. 

	S. No.
	Name & Address
	Deficiencies observed w.r.t BMW Rules
	Reply received if any
	Authorization Status
	CTO
	CTE
	ETP/STP
	Remarks 
	Present status
	Decision

	5
	Park Hospital Super Speciality Hospital, 11, 12, 13 & 97 Meera Enclave, Near Keshavpur bus depot, outer ring road New Delhi-18
	1. The BMW containers should be covered and labelled with biohazard symbol

2. Segregation of Bio-Medical waste was not observed. It was observed that general waste was existing in red & blue containers.

3. Sharp waste was being handed over to CBWTF operator after more than 48 hrs.

4. Records of BMW management need improvement & quantum of BMW needs to be assessed.

5. Trolley washing area needs to be provided

6. Isolated site for storage of biomedical waste exists but the same needs to be equipped with containers of adequate, size, drainage facility and proper ventilation

7. Records of cytotoxic drugs not found maintained

8. Capacity of ETP was 4 KLD which is grossly inadequate. No water meters found installed at inlet and outlet.

9. No records regarding operation of ETP.

10. ETP of the hospital needs to be augmented after assessing mass water balance.


	1. Covered dustbins with labels already exist in all waste generating area but now more covered containers have been procured and labelled with biohazard symbol. 
2. The said observation was in blood bank only where new entrance was not aware of BMW handling rules and its practice & hence training have been imparted to all the new entrants of the hospital and housekeeping staff personal. 
3. The sharp containers provided in the department are of 5 kg and 10 kg. Now small containers of 1 kg and even smaller (0.8kg).

4. The formal for recording the generated BMW has been modified to ensure better documentation. 
5. Trolleys washing area has been demarcated. 

6. Containers of adequate size have been provided. The room has got ventilation and drainage facility. 
7. Practice of counting the discarded bottles and vials of cytotoxic drugs is already prevalent as already told by Dr. Ritu Bhutani (Direct- Oncology).The practice of documenting the same is now restrenthened with new formats. 

8. STP of 60 KLD is under process and likel;y to be completed in Jan, 2014. Water meters fitted.

9. Records submitted but fabricated (records depict that sludge to the magnititude of 10 kg/day is produced from treatment of less than 4 KLD wastewater)

10. STP of 60 KLD is under process and likely to be completed in Jan, 2014.
Photographs have been attached.

	Applied on 19-Aug-13


	Applied on  13-Sep-13


	Applied for CTE on 19.08.2013


	Installed to be augmented
	Reply not satisfactory. Basis for water consumption not given based on which capacity of ETP/STP has been designed. STP (60 KLD) is apparently inadequate based on the no. of beds (304).
	SCN U/s 5 of EPA has been issued to the HCE. The status of the HCE has been apprised to NGT on 06.01.2014
	Inspection be conducted. 

	S. No.
	Name & Address
	Deficiencies observed w.r.t BMW Rules
	Reply received if any
	Authorization Status
	CTO
	CTE
	ETP/STP
	Remarks 
	Present status
	Decision

	6 
	Max Super Speciality Hospital, 1, Press Enclave Road, Saket, New Delhi-17


	The bins need to be covered and labelled at all places.

2. Hospital needs to be improve upon segregation of BMW as category-I waste was presently being disposed in red bags.

3. Quantum of Bio-Medical waste needs to be assessed properly.

4. Entire BMW including medicine bottles need to be handed over to CBWTF.

5. Isolated storage site  meant for BMW needs to be of adequate size and with proper ventilation as this is common site for two hospitals.

6. BMW needs to be labelled as per schedule –IV of BMW rules before handling over to CBWTF.

7. Proper board at isolated storage site of BMW needs to be provided and records needs to be maintained separately for two hospitals at common isolated site.


	1. Bins at all places in the hospital are colour coded in accordance with BMW rules.
2. The same has been corrected w.e.f. 18.09.2013

As advised by DPCC authorities, the BMW color coding chart has been revised. The segregation is now being done accordingly and the all BMW in category 1 is being disposed off in yellow bag as advised by DPCC Authorities.

3. As suggested, additional column for assessment of BMW generated against per day Bed Occupancy is being maintained. Proper record of the quantity of BMW generated and disposed to CBWTF under each category is being maintained in accordance to the BMW rules, 1998. 
4. As suggested, the glass bottles are being first wrapped in a cardboard and then disposed in blue bags. Thereafter, the same is being handed over to DPCC authorized vendor. 
5. Storage site for both the buildings is now separate. Please find attached the photographs of MSSH (west) 
6. BMW for transportation is being labelled in accordance to schedule IV, with immediate effect, we have initiated the mandatory practice of placing stickers specifying the contents of schedule IV on each BMW bag before transporting to CBWTF 
7. Proper record of the quantity of BMW generated and disposed to CBWTF under each category is being maintained in accordance to the BMW, rules-1998

Photos and documents attached

	Applied on 18-Jul-13


	Applied on  08-Aug-13


	Granted
	Installed
	Reply satisfactory.
	The status of the HCE has been apprised to NGT on 06.01.2014
	Inspection be conducted. 

	S. No.
	Name & Address
	Deficiencies observed w.r.t BMW Rules
	Reply received if any
	Authorization Status
	CTO
	CTE
	ETP/STP
	Remarks 
	Present status
	Decision

	7
	Fortis Hospital, A Block,  Shalimar Bagh, Delhi- 88
	1. The linens generated in the Hospital needs to be stored separately in different color container, as it was found linen containers were having yellow bags, which was similar to ones used for incurable BMW.

2. Segregation of Bio-Medical waste was not proper as gloves, gauges etc. were found in general waste bags.

3. Bio-Medical waste i.e Sharps need to be disposed within time specified under BMW rules.

4. Bio Medical Waste needs to be stored in covered colour coded container with biohazard symbol. Some of them were found uncovered.

5. Trolleys carrying Bio-Medical waste needs to be covered properly.

6. Records of operation of STP needs up gradation.


	1. The bags used for carrying infected linens have been colour coded pink in place of yellow as advised. 

2. Reinforcement of proper segregation at the point of generation is being done by way of regular trainings. 
3. Smaller sized puncher proof containers for sharps have been installed for disposal of sharps within the defined time frame. 
4. Bins without cover have been replaced with covered bins. 

5. New Trolleys have been procured for carrying of Bio Medical Waste. 
6. The records of the operations of STP have been up graded. 

Photographs have been attached as proof.


	Applied on 10-Sep-12


	Applied on  07-Sep-12


	Granted
	Installed
	Reply found satisfactory
	The status of the HCE has been appraised to NGT on 06.01.2014.
	Inspection be conducted. 

	S. No.
	Name & Address
	Deficiencies observed w.r.t BMW Rules
	Reply received if any
	Authorization Status
	CTO
	CTE
	ETP/STP
	Remarks 
	Present status
	Decision

	8
	Shri Balaji Action Medical Institute Unit of Lal Munni Lal Mange Ram Charitable Trust  Hospital, FC-34, A-4, Paschim Vihar, New Delhi-63
	1. Hospital needs to improve upon the segregation of Bio-Medical Waste. All the sharps needs to be disposed off in puncture proof container.

2. The treatment system installed for effluent treatment consist of equalization tank, irritation tank, settling tank, & treated water tank with no chemicals &sludge  is not being recycled so the treatment system is neither an ETP or STP. 

3. Record of Bio-Medical Waste needs to be analysed as maintained properly.

4. It was conveyed G.M. Engineer that capacity of ETP is 50 KLD where as consumption of water presently is 200 KLD approx. The Effluent Treatment System needs immediate action and up gradation as effluent from place like microbiology lab, blood bank, etc. are not being treated and the capacity of system is inadequate. 

5. As per record with DPCC the hospital having beds strength of 200 patients however, during inspection it was observed that patients were more than 300. It was conveyed that hospital is in process of up grading beds strength.   


	1. Bio-Medical Waste is being segregated as per BMW rules. Now using small puncture proof containers which are being discarded on daily basis. There are handed over to CBWTF.
2. This is to inform you that ETP system will be revamped. Consultants/parties have been consulted to plan a STP plant which would be sufficient to treat the sewage/effluent of the hospital within 12 months (subsequently modified it to 6 months alongwith schematic diagram of STP).

3. Earlier official has been replaced by another official and now records are maintained correctly. 

4. With the revamping of STP plant through the professional as mentioned in above point, the capacity of treatment will automatically get enhanced and thereafter the entire effluent from hospital including lab and blood bank shall also be treated as per norms. 

5. We would bring to your kind notice that due to sudden spurt of dengue in the city, the numbers of patients have suddenly increased. Normally the number of patients remains below 200 as shown in the annexure attached for the last 3 months occupancy. However, we are applying to Directorate of Health Services to increase the bed strength. As soon as permission is obtained from DHS regarding increase in bed strength, we will apply in DPCC with increased bed strength.

Photographs and documents attached.


	Applied on 30-Aug-13


	Applied on  27-Jul-13


	Granted
	Installed to be augmented
	Reply satisfactory. Hospital has submitted schematic design of STP and has asked for 6 months for revamping/ enhancing the capacity of  STP. 
	The status of the HCE has been apprised to NGT on 06.01.2014
	Inspection be conducted. 

	S. No.
	Name & Address
	Deficiencies observed w.r.t BMW Rules
	Reply received if any
	Authorization Status
	CTO
	CTE
	ETP/STP
	Remarks 
	Present status
	Decision

	9
	Mata Chanan Devi

Hospital, C-1,

Janakpuri, New Delhi-58
	1. Proper drainage needs to be provided to send effluent generated from STP.

2. Trolley washing area needs to be provided.

3. Sludge drying beds needs to be provided.

4. Flow meters at inlet/outlet of STP need to be provided.


	1. Drain in front of Bio-Medical Hazard Room has been made. 

2. A fixed area for trolley washing has been provided.

3. Sludge drying bed has been provided.

4. Flow meters at inlet & outlet of STP have been provided.

Photographs have been attached.


	Granted 
	Applied on  21-Aug-13


	Granted
	Installed
	Reply satisfactory
	The status of the HCE has been apprised to NGT on 06.01.2014
	Inspection be conducted. 

	10
	Sunder Lal Jain Charitable Hospital, Ashok Vihar, Phase III, Delhi-52
	1. Segregation of Bio-Medical Waste was not found proper.

2. Bio-Medical waste i.e. sharp needs to be disposed daily as per BMW Rules.

3. Containers need to be covered & provided with Bio-hazard symbol.

4. The trolleys need to be covered & provided with Biohazard symbol.

5. The isolated storage site for BMW needs to have separate compartments for storage for BMW

6. The flooring of BMW site needs to be provided.

7. Proper board needs to be provided with biohazard symbol.

8. The authorization under BMW Rules had expired on 05/08/2013 & hospital needs to apply for its renewal.

9. STP found non operational

10. Records w.r.t bio medical waste & STP needs to be maintained as per BMW Rules.


	1. Nursing & Housekeeping staff has been trained further properly. Segregation is being done properly now.

 2. Bio Medical waste including sharps are being disposed of daily as per BMW Rules.

3. Symbols provided.

4.  The directions have been complied with

5. Bio-Medical Waste site has been compartmentalized into three separate areas, one each for yellow, red and blue bags. Moreover, one separate room has been provided for general waste (black bags).

6. The flooring of BMW site has been redesigned with proper impermeable tiles and proper covered drainage facility.

 7. Directions have been complied.

8. Application for fresh Authorization has been submitted to DPCC. 
9. Fully operational S.T.P plant with daily collection of sludge (3 to 4 Kgs)
10. Daily records maintained.

Photographs attached.

	Applied on 10-Sep-13


	Not Applied
	Granted
	Installed
	Reply satisfactory.
	The status of the HCE has been apprised to NGT on 06.01.2014
	Inspection already conducted as approved on file. Letter for deficiencies observed during inspection has been issued on 05.02.2014Further follow up action be taken. . 

	S. No.
	Name & Address
	Deficiencies observed w.r.t BMW Rules
	Reply received if any
	Authorization Status
	CTO
	CTE
	ETP/STP
	Remarks 
	Present status
	Decision

	11
	Max Super Speciality Hospital (A unit of Devki Devi Foundation), 2, Press Enclave Road, Saket, New Delhi 110017
	1. The bins need to be covered and labelled at all places.

2. Hospital needs to be improve upon segregation of BMW as category-I waste was presently being disposed in red bags.

3. Quantum of Bio-Medical waste needs to be assessed properly.

4. Entire BMW including medicine bottles need to be handed over to CBWTF.

5. Isolated storage site meant for BMW needs to be of adequate size and with proper ventilation as this is common site for two hospitals.

6. BMW needs to be labelled as per schedule –IV of BMW rules before handling over to CBWTF.

7. Proper board at isolated storage site of BMW needs to be provided and records needs to be maintained separately for two hospitals at common isolated site.


	1. The bins are covered at all places including high occupancy/ high footfall areas well labelled bind placed for use in all areas.

2. All anatomical waste was being disposed in yellow bags.

Expert inputs from the Inspectors were noted, blood & body fluid stained waste is now added into the yellow bags.

3. The BMW registers documentation enhanced w.r.t. timing/ categories of waste as well as the timings of the collection from the centre.

4. Discarded bottles being handed over to the CBWTF.

Documentation improved.

5. Storage is enhanced. Area designated separately for Max Super Speciality Hospital (a Unit of Devki Devi Foundation).

6. Biomedical waste labelled as per Schedule IV of BMW Rules 1998.

7. Proper record of the quantity of BMW generated and disposed to CBWTF under each category is being maintained in accordance to the BMW Rules.

Proper sign board along with color coding chart has been placed on the BMW storage area and all other relevant areas.

The Bio-hazard symbol has been placed in accordance with Schedule III of the BMW Rules, 1998.

Photographs and documents attached.

	Applied on  26-Sep-13


	Applied on  21-Dec-12


	Granted
	Installed
	Reply found satisfactory
	The status of the HCE has been apprised to NGT on 06.01.2014
	Inspection be conducted. 

	S. No.
	Name & Address
	Deficiencies observed w.r.t BMW Rules
	Reply received if any
	Authorization Status
	CTO
	CTE
	ETP/STP
	Remarks 
	Present status
	Decision

	12
	Max Super Speciality Hospital (A unit of Max Health Care Institute Ltd.), FC-50, C & D Block, Shalimar Bagh Delhi-88
	1. Segregation of Bio Medical waste was not proper.

2. No record of cytotoxic waste was kept & no records of medical bottle which were being disposed in black bags maintained. 

3. Hospital needs to adhere to the time limit for sending BMW to CBWTF, so that the treatment could be done in 48 hours.

4. Records management of Bio Medical waste was not proper.

5. The STP has been designed for 125 KLD but total consumption of water is nearly 250 KLD. No sludge drying bed observed for existing STP. 

6. The entire system existing for effluent treatment plant (ETP (12.5 KLD capacity & STP 125 KLD) capacity is not reflected in the adequacy report submitted to the DPCC.


	1. The improvement in the segregation of BMW has been done. Hospital has annexed photographs of bins for BMW, chart for BMW management and labels in respect of BMW bags.

2. Records regarding Cytotoxic waste has been submitted. The records register has not been maintained properly.

3. Bio Medical waste including waste sharps generated at our above hospital is being collected by the vendor on daily basis. The BMW is being sent to CBWTF twice a day.

4. The BMW register has been suitably modified to include the vehicle number of the authorized vendor collecting BMW. Copy of the sheet of the register is enclosed (but the same was not found proper).

 5. Earlier rely - In the process to augment the STP capacity. Drying bed for sludge has been provided. Present reply : Total water consumption figures for October and November 2013, given as 180 KLD and that the STP is sufficient to cater present requirements. (the consumption figure of 250 KLD previously shown by the unit has not been refuted). Therefore, explanation is not satisfactory.

6. HCE has submitted copy of old Adequacy report which does not reflect the statement of the unit. Also, the HCE has not commented upon the point raised in the show cause notice.

	Granted
	Granted
	Granted
	Installed
	Reply not satisfactory
	SCN U/s 5 of EPA has been issued to the HCE. The status of the HCE has been apprised to NGT on 06.01.2014
	Inspection be conducted. 

	S. No.
	Name & Address
	Deficiencies observed w.r.t BMW Rules
	Reply received if any
	Authorization Status
	CTO
	CTE
	ETP/STP
	Remarks 
	Present status
	Decision

	13
	MGS Hospital, 35/37, Rohtak Road, West Punjabi Bagh, Rohtak Road, New Delhi-26
	Proper segregation of bio medical waste was not observed.

Sharps needs to be disposed off as per time specified in BMW rules.

Glass bottles needs to be disposed off in puncture proof containers.

The entire waste generated, including discarded medicines & bottles need to be disposed off & given to CBWTF operator.

No trolleys were observed for transfer of bio medical waste from wards to isolated storage site.

Labels need to be displayed on the plastic bags before disposal.

At isolated site meant for storage of bio medical waste proper chambers needs to be constructed for storage of different types of waste (incinerable & autoclavable).

Proper board with bio hazard symbol need to be displayed at isolated site meant for storage of Bio medical waste.

Isolated site should have an impervious roof & flooring.

Effluent treatment plant was not functioning properly (MLSS not observed) & effluent was being by-passed, no sludge was observed.

It was observed that biomedical waste was not being sent to CBWTF on daily basis.

No water meters were found installed at inlet of STP & water meter at outlet depicted reading of 857.9 KL only & it was conveyed that the meter was installed more than a year back.

It was observed that effluent from isolated storage site was being directly discharged in sewer 


	No Reply received
	Not Applied (earlier authorization expired on 01.03.2013)
	Granted
	Granted
	Installed
	
	SCN U/s 5 of EPA has been issued to the HCE. The status  of the HCE was placed before NGT in the hearing held on 06.01.2014.
	Inspection be conducted. 

	S. No.
	Name & Address
	Deficiencies observed w.r.t BMW Rules
	Reply received if any
	Authorization Status
	CTO
	CTE
	ETP/STP
	Remarks 
	Present status
	Decision

	14
	Indian Spinal Injuries Centre, Sector-C, Vasant Kunj, New Delhi-70
	i. Glass bottles & broken glass ampules were not being disposed off properly & needs to be disposed off in puncture proof containers.

ii. Blood bank & laboratory needs to maintain proper records.

iii. Proper segregation needs to be carried out as some plastic waste was found in yellow bags; some bio medical waste (like medicine bottles, gloves, etc) was in general waste bags.

iv. Bins need to be covered in laboratory.

v. Sharps need to be disposed off within time schedule as mentioned in BMW rules. 

vi. Isolated storage site for BMW should have impervious roof.

vii. Proper labels as per schedule IV of bio medical waste rules needs to be displayed at bags before being disposed.

viii. Plastic medicine bottles were observed in general waste room.

ix. Separate trolley washing area needs to installed.

x. STP was found installed but with inadequate capacity.

xi. Water consumption of the hospital was reported to be approximately 200 KLD whereas the treatment capacity of STP is 40 KLD (whereas presently only 15-30 KLD of effluent was being treated)

xii. Presently the effluent is being by passed.

xiii. The records of Bio medical waste needs to be maintained properly.


	
(i)Proper segregation of glass bottles in puncture proof containers is being done.

(ii) Records have been streamlined

(iii) Intensive training has been provided to hospital staff to ensure correct segregation and the same is being practiced.

(iv) All bins have been covered

(v) Sharps are being disposed off within time frame stipulated under BMW Rules.

(vi) Impervious roof has been provided.

(vii) Labelling as per BMW Rules is being carried out.

(viii) Intensive training has been provided to hospital staff to ensure correct segregation and the same is being practiced.

(ix) Installed

(x)-(xii) Approval for increasing capacity of ETP obtained. The process will take 3 months for completion

(xiii) Necessary amendments in BMW records have been made.


	Valid till 30.01.14
	Valid till 17.5.2014
	31-01-2011
	Installed- capacity to be augmented
	Satisfactory- except that HCE has sought time of 3 months for augmenting capacity of ETP.
	An inspection of HCE was carried out on 09.12.2013 and deficiencies were observed during inspection. HCE was issued Show Cause Notice u/s 5 of EPA on 20.12.2013. HCE has filed a reply in response to the inspection carried out. NGT was apprised of the status of HCE on 06.1.14.
	Inspection be conducted. 


	Sl.No
	Name and Address of Unit 
	Distt. No.
	Authorisation Status
	CTO Status
	CTE Status
	ETP Status
	Brief Status 
	Decisions Recommended  in the Meeting on 17.07.2013
	ATR/Status
	Decision 

	1
	M/s Synergy Waste Management Pvt. Ltd.    Near Composite Plant, SukhdevVihar      Okhla, New Delhi-20.  
	S-288
	Applied on 26.09.2012
	Applied on  11.10.12
	Granted
	Installed
	1. The unit was established  on  land given by DHS as per their agreement. 
2. A court case is on-going against the unit in Hon'ble High Court  since 2008.   

3. Hon’ble High Court of Delhi has passed the judgment on 15.01.13 in the case titled as P.K Nayyar&orsVs UOI and ors that the said CBWTF to shift the  bio-medical waste disposal facility at Okhla near SukhdevVihar, to  a suitable site by 14.07.13.The site suitable for shifting of the said facility in terms of this order would be identified by the Chief Secretary, Government of NCT of Delhi, within three months from today.  
6.In compliance of High court judgment dated 15.01.13, DHS has issued Notice to the said CBWTF on 28.05.13 directing it to immediately take possession of land at STP, Okhala to shift the existing CBWTF from SukhdevVihar to STP,Okhla latest by 14.07.13.                    4. Regular complaints are being received from residents of SukhdevVihar  w.r.t pollution from the the CBWTF.

5.The CBWTF has filed a petition/appeal in the High Court on 01/07/13 and as per the legal cell of DPCC the stay has been granted to the unit till next hearing.                                                                                                                                                         


	Earlier decision on 01.11.12 regarding issuance of renewal of consent reviewed. Decision taken on file to direct the unit to submit fresh monitoring report of incinerator with complete prescribed parameter for the incinerator including Volatile Organic Compounds (VOC) in ash ratified. Authorization not extended. It was decided that in view of the Hon’ble High Court order regarding shifting of the unit, the direction issued by DHS to the unit for shifting, the matter will be referred to DHS  stating that no further extension of the authorization & renewal of consent to the unit shall be granted till the decision of DHS is received by DPCC regarding continuation of the facility at the present site.

	A meeting was held under the Chairmanship of Secretary(Health) on 18/11/2013. It was decided in the meeting that Authorization of the CBWTF operator may be examined on file by DPCC. As per the latest stack monitoring analysis carried out by DPCC lab, the CBWTF is not meeting the notified standards w.r.t. Particulate matter.
	In view of discussion mentioned in the general decision. Issue authorization with the condition to take rectification measures to control Particulate Matter and submit fresh monitoring report within 01 month of issuance of authorization. The authorization granted will be without any prejudice to the ongoing proceedings of the Hon’ble High Court regarding shifting of the site of the occupier and the outcome of any decision in High Court will be binding upon the CBWTF operator. Issue Show Cause Notice for refusal of consent in view of unsatisfactory monitoring reports of incinerator. 

	2
	Biotic Waste Solutions Pvt. ltd, 46, SSI Industrial Area, Delhi-33
	NW-408
	Valid till 12.09.2015

	Valid till 20.8.2017
	Granted
	Installed
	1.Consent to Establish under the Air & Water Acts was granted to the unit on 14.05.09. The unit had establised CBWTF on its own and is not a state government sponsored project. 
3.Monitoring Report for the incinerator & Effluent Analysis Report of ETP from empanelled Lab of DPCC, conducted on 17th Feb, 2012 indicates that unit is meeting the prescribed standards. 
4.A meeting was called with all three CBWTFs in the office of Member Secretary on 10.04.2012 
regarding installation of online monitoring system. 
5. As decided in the meeting held with MS and Chairman, letter regarding proper compartmentalization and display of information on vehicles carrying Bio-Medical waste,  installation of CCTV camera and division of area amongst 3 CBWTfs were issued. Letter of compliance received except with regard to division of area were issued.  
6. As of now the unit has installed online monitoring system and CCTV and compartmentalization of vehicles.

7. Authorization under BMW Rules & renewal of Consent under Air and Water Act granted.
	Authorization under BMW Rules & renewal of Consent under Air and Water Act granted for three years or remaining period. Copy of CTE application for proposing to shift its facility at 93/2 Mundka Industrial Area, Delhi, may be  referred to DHS in the first instance w.r.t. decision of Chief Secretary in its meeting held on 20.04.10 that “ DPCC will get approval from DHS also before issue of any consent to establish or consent to operate for setting up CBWTF to any private party not in joint venture with Govt. of NCT Delhi.” The case will be further processed after receipt of the reply from DHS.

	As approved, a letter was written to DHS on 27.8.2013 seeking their comments. However no intimation has been received from DHS regarding the proposal of shifting facility to Mundaka. As per the latest stack monitoring analysis carried out by DPCC lab, the CBWTF is not meeting the notified standards w.r.t. Particulate matter.
	Issue Show Cause Notice for revocation of consent in view of unsatisfactory monitoring reports of incinerator.

	3
	SMS Water Grace BMW Pvt. Ltd, Nilothi Sewage Treatment Plant Complex of DJB, Nilohi, Delhi-41       
	W-401
	Authorization valid till 17.11.2013. Applied on 30.10.2013
	valid upto 17.11.2013
	Granted
	Installed
	1. The unit has been establised on the land given by DHS as per their agreement.                                                                                                          2. Monitoring Report for the incinerator & Effluent Analysis Report of ETP from empanelled Lab of DPCC, conducted on 17th Feb, 2012 was submitted by CBWTF which indicates that unit is meeting the prescribed standards.
3. A meeting was called with all three CBWTFs in the office of Member Secretary on 10.04.2012 
regarding installation of online monitoring system. 
4. As decided in the meeting held with MS and Chairman, letter regarding proper compartmentalization and display of information on vehicles carryinh Bio-Medical waste,  installation of CCTV camera and division of area amongst 3 CBWTfs were issued. Letter of compliance received.  
5. As of now the unit has installed online monitoring system and CCTV and compartmantalisation of vehicles.
	Authorisation under BMW Rules & renewal of Consent under Air and Water Act granted for three years or remaining period.
	Authorization and CTO granted were granted which were valid till 17.11.2013. CBWTF has applied for renewal of Authorization on 30.10.2013. As per the latest stack monitoring analysis carried out by DPCC lab, the CBWTF is not meeting the notified standards w.r.t. Particulate matter.
	In view of discussion mentioned in the general decision. Issue authorization with the condition to take rectification measures to control Particulate Matter and submit fresh monitoring report within 01 month of issuance of authorization. Issue Show Cause Notice for refusal of consent in view of unsatisfactory monitoring reports of incinerator.




	Sl.No
	Name  of Unit 
	 Address of Unit 
	Distt. No.
	Bed (No.)
	Authorisation Status
	CTO Status
	CTE Status
	ETP/STP Status
	Brief Present Status 
	Decisions 

	1
	Jeewan Nursing Home & Hospital
	2-B, Pusa Road, New Delhi-05
	C-016
	101
	Applied  on 08.10.2013
	Applied on 04.10.12
	Granted
	Installed
	Applied for renewal of authorization on 08.10.2013. A communication requesting for renewal of authorizaiton & consent.
	Inspection be conducted.

	2
	Shriram Institute for Industrial Research , 
	19, University Road, Delhi-07.
	N-069
	Research Institute
	Applied  for renewal on 04.07.2013
	Granted Valid upto 26.03.15) 
	Granted
	Installed
	1.This is a case of Research Institute which is having animal house and generates BMW.
2.ETP installed & adequacy report submitted.                                                                                                            3.As decided in meeting held on 09.03.11   Institute was inspected  on 22.06.11 . Bio-Medical Waste Management was found satisfactory.                                                                                                                                                                                        4.  Institute has submitted NMR & stack monitoring report on 19.09.11 .5. CTO  granted. 6. CTO   issued.  7.Hospital has submitted stack monitoring Report of DG Set of  250 & 300 KVA & also submitted effluent analysis report  alongwith stack monitoring report of theStacks attached to DG set(s)
	Inspection be conducted.

	3
	Society of Unique Hospital & Research Institute ( Multi Super Speciality Hospital & Research Institute)  
	Sector-19 Dwarka, Delhi.
	NW-414
	400
	…………
	____
	Applied for extension on 12.03.13
	___
	1.This is a case of New Hospital.The unit had applied for CTE on 14.07.06 & CTE has been granted. 
2.ETP (design capacity of 150KLD secondary and tertiary treatment) DG sets- 3 nos of 750 KVA capacity each (with acoustic enclosure) 3nos. oil fired boilers (1500Kg/hours). 
3.As decided in the meeting on 07.09.09 CTE was issued with the condition that acoustic enclosure shall be provided within a month.                                                                                                                                                                                                   4.Hospital has submitted compliance report  on 16.04.11   w.r.t letter issued on 05.04.11.                                                                                                                                                      5. As decided in meeting held on 27.09.11 Letter seeking clarification w.r.t    D G Set issued. Reply received stating height of D.G.Set of capacity 75 KVA is 4mts. 6. Issue letter for seeking extension of CTE, applying for CTO and for submission of  item-wise compliance of EC conditions. 7.Letter issued.  8. Unit has applied for extension of CTE.
	Inspection be conduted. 

	4
	PCL-JRDC Joint Venture Ltd,
	 Sector -8, Phase-1,Dwarka, Delhi
	SW
	300
	____
	___
	Granted 
	____
	1.The hospital has got Environment Clearence from SEAC.  2. As decided in meeting held on 27.09.11 Consent to Establish under the Air & Water Acts  issued with condition that the unit  will submit   item-wise compliance of the Environmental Clearance conditions during the construction and the general conditions on an Affidavit within a  month.   Unit to also submit  an Affidavit  that it will follow the  conditions of Environmental Clearance  and  mention the date of start of construction and completion of construction, submit approved architectural drawing and  Completion Certificate. CTE returned.  Inspection                           Inspection was conducted on 21.03.13 hospital was not constructed on the site. Work of construction was also found stopped. Correspondence address of the applicant was also visited but it was informed that it is a guest house and at present no person with the name of applicant staying  there.
	Re-Inspection be conduted. 

	5
	Delhi Heart and Lung Institute, 
	3-M.M II ,Panchkuian Road,Delhi-55
	C-089
	101
	Granted
(Valid upto 31.08.13)
	Granted (valid upto  04.01.15)
	Granted
	Installed
	1.Hospital is having ETP , SWHS, RWHS, CFLs etc and have submitted adequacy report for ETP. Authorization & CTO have been issued to the hospital.  CTO  issued.                
	Inspection be conduted. 

	6
	Shri Ram Singh Memorial Hospital,
	 B-26, East Krishna Nagar, New Delhi-51. 
	E-011
	100  (earlier have 27 beds)
	Applied on 03.03.10   
	Applied on 23.07.09
	Granted
	Not Installed
	 The said inspection the management of BMW was not as per rules besides no STP/ETP, RWHS, SWHS etc. was found installed. SCN u/s 5 of EPA was issued accordingly. Reply received informing the compliance .
	Inspection be conduted. 

	7
	Nazar Kanwar Surana Hospital(A Unit of Bram Health Care (P) LTD),
	 219/220, N.K. Surana Marg, Gulabi Bagh, Delhi - 07
	N-095
	102
	Granted (valid till 14.03.15)
	Granted (valid till 
04.01.15)
	Granted
	Installed
	CTE, CTO & Authorisation granted. CTE, CTO & Authorisation issued.
	Inspection be conduted. 

	8
	Jeewan Mala Hospital(P)Ltd.,
	 67/1, New Rohtak Road.New Delhi -05
	C-012
	101
	Granted (Valid Upto 03.10.13)
	Applied for renewal on 20.10.10 valid upto 19.10.2013
	Granted
	Installed
	The hospital is 101 beded. The HCE have not applied for renewal of authorization & renewal of CTO under Air & Water Act.
	Inspection be conduted. 

	9
	Ashok Nursing Home 
	F-3/15, F-3/16 Krishna Nagar Delhi-51.
	E-024
	100
	Applied on 30.03.2012.
	Not Applied
	Applied on 30.03.2012.
	Not Installed
	Earleir HCE has obtained  Authorisation for 30 Beds Now they have submitted application for Authorisation for100 Beds on 30.03.12 and also applied for CTE on 30.03.12 but not informed wrt  total built-up area of Hospital . Hospital has also not applied for CTO & also not installed STP/ETP ,SWHS & RWHS. Case was taken by BMW Committee No -2 on 29.08.12 & it was decided that Case shifted to BMW Committee No 1 . Case is submitted before this Committee as per decision of committee No-2
	Inspection be conduted. 

	10
	All India Society For Health Aid Education And Research (A.S.H.A) ( Venkateshwar Hospital) 
	Sector-18 Dwarka Delhi -75
	SW-038
	 
	 
	 
	Applied on 30.11.2012.
	 
	Fresh case.  Hospital applied fress for CTE on 30.11.12 with built-up area 19679.11 sqm. 1. Hospital was inspected  on 20.03.12. Bio-Medical Waste Management found satisfactory.                  3.Hospital has submitted Effluent Analysis Report (of DTU , meeting the prescribed norms)              
	Inspection be conduted. 

	11
	Deepak Memorial Hospital,
	 5, Institutional Area,  Vikas Marg Extn. 2 , Delhi-92
	E-006
	100
	Aapplied for renewal on 04.02.13 for 100 beds  
	Granded for 100 beds (Valied up to 15.09.14)
	Granted for existing hospital
& also for proposed new building of hospital
 
	Installed
	CTE issued for new building of hospital ( proposed built up area of 13789.95sq.mtr ) on 28..03.11 .However previous CTE issued on 10.03.10 for existing Hospital of 100 beds (for existing built up area 3516.74 sq.mtr). CTO also issued.  
	Inspection be conduted. 

	12
	Guru Teg Bahadur Hospital,
	 Shahdara , Delhi-95
	NE-001
	Applied for renewal on 03.05.10
	Applied on 19.12.07 (3 years lapsed)
	Granted
	Granted
	not installed
	1. Show Cause Notice u/s 5,  issued instead of reminder letter .2.As per the common decision of BMW Committe No.1, in its meeting held on 18.04.12 letter w.r.t constitution of Environment Management Group (EMG) issued. 3. No reply received. 4.However, directions of hospital to EE, PWD received w.r.t incinerator, monitoring report of  DGSets & boiler. However, no reply in response to SCN received.Reminder for EMG & rest of the things. Letter issued communication received informing that bid has been invited for RWHS installation & work for installation of ETP has also been started by dismentaling old septic tank to PWD. Not complying to BMW Rules w.r.t. modification of STP and considered for granting six months time for modification of the same. Letter yet to be issued. However, no compliance from HCE is received regarding complitionof modification in STP and management of BMW Rules.
	Inspection be conduted. 

	13
	Kasturba Hospital, 
	Near Jama Masjid, New Delhi-2
	C-004
	450
	Not applied (earliar valid upto 25.08.12)
	Applied on 22.01.10
	Granted
	under process
	1. Letter issued. 2. Reply not received. 3.As per the common decision of BMW Committe No.1, in its meeting held on 18.04.12 letter w.r.t constitution of Environment Management Group (EMG) issued. EMG constituted. Final reminder.  Reply not received. A communication dated 21.03.2013 received by Enquiry counter by post enclosing the application for CTO. As inform by enquiry counter regarding the deficiencies a letter on 06.06.2013 issued accordling. No reply received.
	Inspection be conduted. 

	14
	Swami    Dayanand Hospital, 
	Shahdara , Delhi-32
	NE-002
	230
	Granted (valid upto 18.02.13) 
	Applied for renewal on 06.08.10
	Applied for renewal on 06.08.10
	With engineering department.
	1. Letter issued. 2. No reply  received w.r.t 5 points status.   3.As per the common decision of BMW Committe No.1, in its meeting held on 18.04.12 letter w.r.t constitution of Environment Management Group (EMG) issued. EMG constituted. Reminder
	Inspection be conduted. 

	15
	Jag Pravesh Chand Hospital 
	(Shastri Park Hospital),Govt. of NCT of Delhi, Shastri Park,Delhi-53
	NE-104
	200
	Granted (valid upto 15.12.13)
	Applied on 24.02.11 
	Granted
	Installed 
	1. Letter issued. 2. Reply not received. 3.As per the common decision of BMW Committe No.1, in its meeting held on 18.04.12 letter w.r.t constitution of Environment Management Group (EMG) issued.  EMG constituted. Reminder issued. Reply received informing formation of EMG group and constitution of a committee to speep up the matter of installation of ETP, SWHS & RWHS installation etc.
	Inspection be conduted. 

	16
	Guru Nanak Eye Centre, 
	Maharaja Ranjit Singh Marg , New Delh
	C-003
	184
	Granted (valid upto 13.01.14) 
	Applied On 09.03.09 (3 years lapsed)
	Granted
	Not installed
	1. Letter issued. 2. Hospital has submitted status w.r.t 5 points.  3.As per the common decision of BMW Committe No.1, in its meeting held on 18.04.12 letter w.r.t constitution of Environment Management Group (EMG) issued. No reply received.  Final reminder for EMG & rest of the things issued no reply recieved.
	Inspection be conduted. 

	17
	A& UTibbia College Hospital, 
	Karol Bagh, New Delhi-5
	C-007
	150
	Granted (valid upto 30.05.13)
	Applied on 28.09.06 (three years lapsed)
	Granted
	work has not started yet.
	1. Letter issued. 2. Hospital has submitted status w.r.t 5 points .  3. Hospital has replied w.r.t application of CTO that they have applied for CTO on 28.09.2006 , which is still pending & has requested to clarify whether the CTO shall be granted in absence of ETP.   4.As per the common decision of BMW Committe No.1, in its meeting held on 18.04.12 letter w.r.t constitution of Environment Management Group (EMG) issued. No reply received w.r.t EMG.  Reminder for EMG & rest of the things. In Letter dated 18.02.2013 HCE informed that Solar water heating system has been installed, RWH has been completed and informed that in absence of ETP, Consent shall not be granted in absence of ETP, so they are waiting till ETP installtion.  . EMG Formed. 
	Inspection be conduted. 

	18
	Aruna Asaf Ali Hospital, 
	5 Rajpur Road, Delhi-54
	N-005
	100
	Granted
(valid upto 24.05.13) 
	Applied on 25.02.11
	Granted
	under process
	1. Letter issued. 
2. Reply received. 
3.As per the common decision of BMW Committe No.1, in its meeting held on 18.04.12 letter w.r.t constitution of Environment Management Group (EMG) issued. No reply received.  
4. Not applied for renewal of CTO. 
5.As per the common decision of BMW Committe No.1, in its meeting held on 18.04.12 letter w.r.t constitution of Environment Management Group (EMG) issued. No reply received.  
Reminder issued.
	Inspection be conduted. 

	19
	Lal Bahadur Shastri Hospital, 
	Khichripur, Delhi.
	E-002
	100
	Applied for renewal on 23.04.2013
	Applied on 28.12.07 (3 years lapsed) Applied for CTO on 05.07.2013
	Granted
	Under process
	1.As per the common decision of BMW Committe No.1, in its meeting held on 18.04.12 letter w.r.t constitution of Environment Management Group (EMG) issued.  EMG constitute.Reminder letter issued reply received informing EMG formation etc.  Susequently the HCE was also inspected on 04.12.2012 by the officials of CPCB & DPCC to verified the complicance of BMW Rules. SCN u/s 5 of EPA was issued for the deficiencies found during the said inspection w.r.t BMW Managemnet & ETP. Reply received.
	Inspection be conduted. 

	20
	G.L. Maternity Hospital (MCD) , 
	Ajmeri gate, Kamla Market, Delhi-6
	N-006
	107
	Granted (valid upto 30.5.13)
	Applied on 16.03.2012. 
	Granted
	Installed
	1. As per the common decision of BMW Committe No.1, in its meeting held on 18.04.12 letter w.r.t constitution of Environment Management Group (EMG) issued.  EMG constituted. 2. Hospital has submitted effluent analysis report (of DTU, meeting the norms). 
Letter seeking status w.r.t RWHS. Letter yet to be issued. As per latest authorization application the total no. of beds reported 97.
	Inspection be conduted. 

	21
	Institute of Human Behaviour & Allied Sciences, 
	Near GTB Hospital, Dilshad Garden, Delhi-95
	NE-003
	190
	Granted (valid upto14.06.13) Applied for renewal on 12.06.2013
	Granted (valid upto 24.07.14) 
	Granted
	Installed
	As per the common decision of BMW Committe No.1, in its meeting held on 18.04.12 letter w.r.t constitution of Environment Management Group (EMG) issued. EMG constituted. No Action Applied for renewal of authorization under BMW Rules.
	Inspection be conduted. 

	22
	Shanti Mukund Hospital,
	 2, Institutional Area, Vikas Marg Extension, Delhi-92
	E-003
	144
	Applied on 15.09.10
	Applied on 15.09.10
	Applied
	Installed
	Hospital was inspected on 16.03.12. During inspection it was observed that :  (1) D.G Sets of capacity 250 KVA (3 No.) & 225 KVA (4 NO.) are with inadequate stack height.  (2) Bio-Medical Waste management was not found proper. (3) color coded bags and containers were not found in use. (4)  Nurse (casualty) not aware regarding Bio-Medical Waste Management 5) Isolated site (BMW storage site) not having Bio-Hazard symbol while it is observed that general waste storage site.    (6) Yellow bags and Blue bags were found in general waste. (7) Blue bags were observed  in black bags at general waste site.  (8) work of installation of ETP has been started in the hospital.                                                                                  Hospital has submitted Adequacy Report of DTU .CTE   granted                                                                                                                                                                                                                                        Issue SCN u/s 5 of EP Act for rectification of deficiencies.  SCN issued, noreply received.
	Inspection be conduted. 

	23
	City Hospital,
	B-1/1, N.E.A. Pusa Road, New Delhi-60
	C-101
	120
	Applied on 29.03.12
	Granted (valid upto 29.12.13)
	Granted
	Installed
	1. Letter issued. 2. Hospital has applied for renewal of Authorization on  29.03.12.  Hospital is having DGSet of 380 KVA. NMR not submitted. Letter for submission of  NMR. Letter issued. NMR received.
	Inspection be conduted. 

	24
	Delhi Heart and Lung Institute
	, 3-M.M II ,Panchkuian Road,Delhi-55
	C-089
	102
	Granted
(Valid upto 31.08.13)
	Applied on 05.01.12
	Granted
	Installed
	1. Hospital  was inspected on 06.03.12. Bio-Medical Waste Management found satisfactory.  Hospital is having DGSet of 500 KVA, have submitted NMR, (of DPCC, meeting the norms). CTO  granted. CTO issued. Inspection w.r.t compliance of NGT order yet to be issued.
	Duplicate entry..already exist at sr. no.5

	25
	Rao Tula Ram Memorial Hospital, 
	Jafferpur, Delhi
	SW-003
	100
	Applied for renewal on 24.02.12
	Applied on
21.02.12 
	Applied on 21.02.12
	Installed
	1. Hospital has submitted application for Authorization  & CTO . Hospital has not submitted Water Analysis Report  from  approved Lab.
2. As decided in meeting held on 27.09.11 Letter to hospital for rectification of deficiencies and rest of the things  and D.O letter from Chairman, DPCC to Pr. Secy. (Health)  issued. 3. Hospital has .Letter seeking Adequacy report & test report from empanelled consultant/Lab. Letter issued reply received informing that they have deposited the desired amount for adequacy of STP. Constituted EMG. 
	Inspection be conduted. 

	26
	Anand Hospital,
	 B-13, Nirmal Vihar, Najafgarh, Delhi-43
	SW-180
	100
	Applied for renewal of authorization on 26.03.2013 for 100 beds
	Not applied
	Not applied
	No Information
	Previously authorization was granted for 09 beds which was valid till 27.08.2012. Previously authorization was granted for 09 beds which was valid till 27.08.2012.
	Inspection be conduted. 

	27
	National Institute of Communicable Diseases,  
	 22, Sham Nath Marg , Delhi-54
	N-093
	NIL
	Authorization valid till 01.03.2013
	CTO issued valid till 01.03.2013
	Granted
	Not ask for 
	This is a research oriented institute. CTO and authorization under BMW Rules has been expired. Not applied for renewal.
	Inspection be conduted. 

	28
	Bensups Hospital (B.R. Dhawan Memorial Charitable Trust) 
	Bensups Avenue, Near K.M. Chowk, Sector-12, Dwarka, New Delhi - 110075 
	SW-147
	Earlier having 30 beds. Applied  for renewal on 19.07.2013 with 138 beds.
	Earlier authorization Granted for less than 100 beds
	Not Applied
	Applied on 19.07.2013
	Installed
	Hospital has submitted requisite fee to DTU for issue of effluent sample test report.Hospital has submitted requisite fee to DTU for issue of noise montoring report of DG set. Hospital has applied for renewal of Authorization under BMW rules on 19.07.2013. Hospital has increased its from 30 beds to 138 beds (letter from DHS enclosed). Hospital has also requested to change the name of unit from Bensups Hospital to Bensups Hospital(B.R. Dhawan Memorial Charitable Trust). Hospital has submitted requisite fee to DTU for issue of effluent sample test report and noise montoring report of DG set.
	Inspection be conduted. 

	29
	Balaji Medical  & Diagnostic Research Centre,
	 108-A, I.P. Etxn., Patparganj, Delhi-92 
	E-293
	260
	Applied for renewal of authorization under BMW Rules on 23..08.2013
	Applied on  10.12.12. previous CTO was issued on 06.12.2010 which was valid upto 14.10.2012
	Granted
	Installed
	The HCE has applied for renewal of authorization for BMW rules on 23.08.2013.
	Inspection be conduted. 

	30
	Chacha Nehru Bal Chikatsalya, 
	Geeta Colony, Delhi-31
	E-179
	260
	Not Applied (earlier authorization expired on 01.03.2013)
	Granted
	Granted
	Installed
	As per the common decision of BMW Committe No.1, in its meeting held on 18.04.12 letter w.r.t constitution of Environment Management Group (EMG) issued.EMG constituted.  No Action. Incompliance of NGT orders inspection by a team comprising of CPCB & DPCC officials was conducted on 04.12.2012. SCN u/s 5 of EPA was issued for the deficiencies w.r.t BMW management & ETP operation  observed during the inspection. Reply received. File was put up administratively inspection to be conducted. Inspected and found some deficincies w.r.t. BMW posters needs to be displayed, ETP/STP not being operated as per designed schdule.
	Re-Inspection be conduted. 

	31
	Aruna Asaf Ali Hospital
	5 Rajpur Road, Delhi-54
	N-005
	100
	Valid till 24.05.2013. Applied for renewal on 03.5.2013 
	Applied on 25.02.11
	Granted
	Under process
	As decided in BMW Committee-1 meeting held on 10.10.12, a letter was written regarding installation of ETP, inadequate stack height with DG Set and constitution of Env. Management Group. HCE has informed that process has been initiated for installing ETP. 
	Inspection be conduted. 

	32
	National Institute of Immunology
	Aruna Asaf Ali Marg, JNU Colony, New Delhi-67
	S-149
	0
	Valid till 30.4.2013.   Applied for renewal on 25.2.2013
	Applied on 13.02.2009. Not applied for renewal.
	Granted
	Under process
	As decided in BMW Committee-1 meeting held on 10.10.12, a letter was written to HCE to submit fresh application for CTO and status of ETP/STP. It was intimated that CTO will be applied and the process of installation of STP has been initiated. However CTO has not been applied.
	Inspection be conduted. 

	33
	Charak Palika Hospital 
	Moti Bagh, New Delhi-21
	ND-003
	150
	Applied on 15.4.13
	Applied on 18.6.13
	Granted
	Installed 
	As decided in BMW Committee-1 meeting held on 10.10.12, inspection was carried out on 7.3.2013 and deficiencies were observed. A SCN u/s 5 of EPA was issued on 23.4.13. HCE has filed a reply informing that the deficiencies have been rectified. The unit has submitted a letter wherein it has enquired as to whether a separate autoclave/shredder is required for processing plastic bio medical waste as earlier they were having and autoclave/shredder but are presently sending their entire BMW waste to CBWTF.
	Inspection be conduted. 

	34
	Primus Ortho & Spine Hospital (Delhi Hospital Society) 
	2, Chandergupt Marg, Chankyapuri, New Delhi-21
	ND-024
	100
	Valid till 09.3.14
	Valid till 15.12.13. Applied on 16.12.13
	Granted
	Installed
	As decided in BMW Committee-1 meeting held on 10.10.12, CTO and Authrization was granted. 
	Inspection be conduted. 

	35
	Saroj Hospital
	2, Institutional Area, Sec-14, Madhuban Chowk, Rohini, Delhi-85
	NW-006
	111
	Valid till 14.11.2013
	Valid till 10.11.13
	Granted
	Installed
	As decided in BMW Committee-1 meeting held on 10.10.12, CTO and Authrization was granted. HCE was inspected on 31/1/13 and deficiencies were observed . HCE has informed about rectification of deficiencies (partially). 
	Inspection be conduted. 

	36
	Ayurvedic Hospital
	MCD, Haiderpur, New Delhi-52
	NW-008
	100
	Authorization valid till 13.11.10. Have not applied for renewal.
	Consent valid till 26.10.11
	Granted
	Exempted being Ayurvedic Hospital
	As decided in BMW Committee-1 meeting held on 10.10.12, A reminder letter was issued for submitting application for renewal application for CTO and formation of Env. Management Group. HCE Has neither  submitted application nor informed about formation of EMG.
	Inspection be conduted. 

	37
	Babu Jagjeevan Ram Memorial Hospital
	Jahangirpuri, Delhi-33
	N-009
	100
	Valid till 10.11.13
	Applied on 25.11.11
	Granted
	Under process
	As decided in BMW Committee-1 meeting held on 10.10.12, a reminder letter was written to HCE for formation of EMG and status of installation of ETP/STP. The HCE has informed that they have constituted EMG. No information has been given regarding STP/STP status.
	Inspection be conduted. 

	38
	Maharishi Valmiki Hospital
	Pooth Khurd, New Delhi-39
	N-011
	150
	Applied on 15.1.13
	Expired on 3.10.10
	Granted
	Installed 
	HCE was inspected with CPCB team and several deficiencies were observed. SCN was issued to HCE. HCE has replied to SCN and informed about rectifications carried out. 
	Inspection be conduted. 

	39
	Sanjay Gandhi Memorial Hospital
	Mangolpuri, Delhi-83
	NW-012
	300
	Applied on 01/05/2012
	Valid till 18.3.12
	Granted
	Installed 
	As decided in BMW Committee-1 meeting held on 10.10.12, a reminder letter was written to HCE for applying for renewal of Consent and for formation of EMG. The HCE has informed that they have applied for renewal of Consent whereas alongwith this they have enclosed copy of application filed for seeking Authorization under BMW Rules.
	Inspection be conduted. 

	40
	Brahm Shakti Hospital & Research Centre
	U-1/78, Budh Vihar, Rohini, Delhi-110086
	NW-013
	105
	Valid till 24.1.15
	Valid till 01.4.2017
	Granted
	Installed
	As decided in BMW Committee-1 meeting held on 10.10.12, CTO and Authrization was granted and inspection was carried thereafter on 26.2.13 and several deficiencies were observed. SCN u/s 5 of EPA was issued. HCE has submitted reply to the SCN and informed about rectification measures. It was conveyed that regarding ETP repair  and meters installation information will be submitted but the same has still not been provided.
	Inspection be conduted. 

	41
	Santom Hospital
	D-5 & 6, Prashant Vihar, Rohini, New Delhi-85
	NW-019
	105
	Applied on 10.4.13
	Applied on 05.08.13
	Applied for CTE on 06.06.2013, earlier CTE  was granted for 52 beds 
	Installed.
	Case shifted from BMW Committee-2.
	Inspection be conduted. 

	42
	Bhagwati Hospital ( A unit of Sarvodaya Health Foundation (Regd.) Delhi)
	CS/OCF-6, Sector-13, Rohini, Delhi-85
	NW-262
	105
	Valid till 21.9.14
	Applied on 22.9.11
	Granted
	Installed
	As decided in BMW Committee-1 meeting held on 10.10.12, Authorization was granted and letter was written for submitting NMR of DG Sets. HCE has submitted the NMR of DG sets and requested for consent order.
	Inspection be conduted. 

	43
	Satyawadi Raja Harish Chander hospital
	Plot No.-30, Sector-7A, Narela, Delhi-40
	N-278
	200
	Applied for renewal on 20.6.13
	Applied on 30.3.11
	Granted
	Under process
	As decided in BMW Committee-1 meeting held on 10.10.12, letter was written for submitting information on installation of ETP, SWHS, RWHS and constitution of EMG. Copy of corrospondence with PWD officials was provided but no details regarding the matter have been received.
	Inspection be conduted. 

	44
	Bhagwan Mahavir Hospital
	H-4/5, Pitampura, Delhi -110034
	NW-301
	250
	Applied on 01.5.2013
	Not Applied
	Granted
	Matter under process
	As decided in the BMW Committee-1 meeting held on 10.10.2012, letter was written to HCE for seeking information on ETP and RWHS. Inspection of HCE was carried out on 30.1.13 and several deficiencies were observed. The HCE thereafter has informed about rectification measures taken. 
	Inspection be conduted. 

	45
	Govt. of  Delhi Hospital
	Kokiwala Bagh, Ashok Vihar, Phase-IV, Delhi-52. (Correspondence Address- Executive Engineer, Sector-6, Rohini, Delhi-85)
	NW-417
	200
	 
	 
	Granted
	 
	As decided in BMW Comttee-1 held on 10.10.12, a letter was send to HCE to seek present status. In its reply HCE has informed that the construction work got delayed and consent may be extended till 30.8.13. A letter has been submitted regarding environmental compliance. 
	Inspection be conduted. 

	46
	HAH Centenary Hospital (Majeedia Hospital) 
	Jamia Hamdard, IHMMR Campus, Hamdard Nagar, New Delhi-62
	S-009
	136
	Valid till 11.3.2013. Has not applied for renewal.
	Applied on 30.5.11
	Granted
	Installed 
	Letter was written to HCE as per decision of BMW Committee 1 held on 10.10.12 to submit fresh NMR of DG sets and the same has been furnished. HCE has not appled for renewal of Authorization under BMW Rules.
	Inspection be conduted. 

	47
	G.M. Modi Hospital & Research Centre for Medical Science
	Mandir Marg, Press Enclave Road, Saket, New Delhi-17
	S-010
	214
	Applied on 13.9.13
	Expired on 07.10.13.
	Earlier-Granted. Applied on 08.10.13 in the name of Saket City Hospital
	Installed
	As per decision of BMW Committee-1 meeting held on 10.10.12, a letter was written to HCE  to submit copy of registration with DHS regarding number of beds in hospital. 
	Inspection be conduted. 

	48
	Vidyasagar Institute of Mental Health & Neuro Sciences
	1, Institutional Area, Nehru Nagar, New Delhi-65
	S-011
	110
	Valid till 14.02.2014
	Valid till 5.11.11. Applied on 08.3.13.
	Applied on 25.10.2013
	Installed 
	As per the decision of BMW Committee 1 , SCN u/s 21/22 of Air Act and u/s 25/26 of Water Act was issued to HCE. Thereafetr HCE has applied for renewal of CTO and CTE
	Inspection be conduted. 

	49
	Nehru Homeopatic Medical College And Hospital
	B-Block Defence Colony, New Delhi-24
	S-013
	100
	Not Applied Valid upto 16.8.13
	Applied for renewal on 16.8.2010
	Granted
	Matter with PWD
	Not Applied for renewal of Authoriztion under BMW Rules
	Inspection be conduted. 

	50
	Pushpawati Singhania Research Institute for Liver Renal and Digestive Diseases
	Sheikh Sarai Phase-II, Press Enclave Marg, New Delhi-17
	S-014
	106
	Valid till 19.7.13. Applied for renewal on 16.7.13
	Applied on 14.9.12 
	Granted
	Installed 
	As per the decision of BMW Committee 1 held on 10.10.12, CTO was to be granted. However as the hospital had not submitted stack analaysis report of one of the boilers and had not submitted correct information, query letter was issued after approval on file. HCE has replied to the letter and inspection has to be carried out as approved on file.
	Inspection be conduted. 

	51
	Deen Dayal Upadhya Hospital
	Hari Nagar, New Delhi-64
	W-002
	640
	Applied on 28.12.11
	Applied on 16.1.08
	Granted
	Matter with PWD
	As per the decision of BMW Committee -1 meeting held on 10.10.12, a reminder letter was written regarding constitution of EMG and submission of balace fees. HCE has submitted the balance fees and informed about constitution of EMG. Correspondences regarding STP installation with PWD have also been provided. 
	Inspection be conduted. 

	52
	Central Jail Hospital
	Tihar, New Delhi-64
	W-005
	240
	Applied on 20.09.12
	Not Applied
	Applied on 16-03-2011
	Installed 
	As per the decision of BMW Committee-1 held on 10.10.12, letter seeking CTO was written to HCE. HCE has informed about corrospondences about CTO with PWD officials but has not applied for renewal of consent.
	Inspection be conduted. 

	53
	Guru Gobind Singh Govt. Hospital
	Raghubir Nagar , New Delhi-27
	W-006
	100
	Applied on 31.5.2013
	Applied on 29.7.11
	Granted
	Installed
	As decided in BMW Committee-1 held on 10.10.12, a letter was written regarding Adequacy report and constitution of EMG.EMG has been formed by HCE. Adequacy report is yet to be submitted.
	Inspection be conduted. 

	54
	Kalra Hospital
	A-5 & 6, Kirti Nagar, New Delhi-15
	W-012
	100
	Valid till 20.9.13
	Valid till 08.08.13. Applied for renewal on 12.12.13
	Granted
	Installed 
	As per the decision of BMW Committee 1 held on 9.3.11, Authrization and CTO was granted.
	Inspection be conduted. 

	55
	Kukreja Hospital & Heart Centre 
	C-1, Vishal Enclave, New Delhi-27
	W-018
	120
	Applied on 03.7.2013
	Valid till 11.10.14
	Granted
	Installed-to be augmented
	As decided in BMW Committee1 meeting held on 10.10.2012, CTO and Authorization were granted and inspection was carried out thereafter on 06/3/13. A SCN u/s 5 of EPA was issued to HCE as several deficiencies were observed and it was found that HCE was operating at plot No. C-1,3,4 AND 14 whereas the CTO and Authorization was sought only for plot No. C-1.  HCE had replied to the SCN and informed about rectification measures taken. It was informed by HCE in Aug/Sep 2013 that STP capacity will be enhanced and fresh CTE & CTO will be applied but no further information has been provided by HCE.  
	Inspection be conduted. 

	56
	RLKC Hospital Metro Heart Institute (A Unit of  Dr. R.L.Khera Charitable Trust)  
	Naraina Road, Pandav Nagar, Opposite Shadipur Depot, Naraina Road, Delhi-08
	W-341
	102
	Valid till 12.4.2015
	Valid till 03.2.13. Applied on 14.12.12
	Granted
	Installed 
	As decided in BMW Committee-1 meeting held on 10.10.12, Authorization was granted to HCE was granted. Inspection was carried out thereafter as decided by BMW Committee-1. Deficiencies were observed during inspection and SCN U/S 5 of EPA was issued on 15/4/13. Reply of SCN has been submitted and  HCE has sought renewal of their consent.
	Inspection be conduted. 

	57
	Altius Sonia Hospital
	1, Gulshan Park, Main Rohtak Road, Nangloi, Delhi-41
	W-376
	100
	Applied on 30.11.2011
	Not Applied
	Not Applied
	Nil
	As decided in BMW Committee-1 meeting held on 10.10.12, u/s 31(A) of Air Act and u/s 33(A) of Water Act was issued. HCE has not responded to the SCN issued to it. 
	Inspection be conduted. 

	58
	Janakpuri Super Specility Hospital (Govt. of Delhi)
	C-2/B, Janakpuri, New Delhi-58
	W-391
	300
	Applied on 17.5.2013
	Applied on 15.3.10.
	Granted
	Installed
	As per the decision of BMW Committee 1 meeting held on 10.10.12, a reminder letter was written to HCE seeking status of SWHS and submission of Adequacy report of ETP. HCE has submitted the adequacy report of the installed STP. 
	Inspection be conduted. 

	59
	ESI Hospital
	Sri Maa Anand Mayee Marg, Okhla, Phase-1 New Delhi-20
	S-012
	109
	Valid till 04.08.2013. Applied for reneal on 02.12.2013
	Not applied
	NA
	Not installed
	A reminder letter was issued to HCE to submit CTE, CTO and provide information on installation of ETP/STP, constitution of EMG. However no reply has been received.
	Inspection be conduted. 

	60
	International Centre for Genetic Engg. & Biotech
	P. B. 10504, Aruna Asaf Ali Marg, New Delhi-67
	ND-054
	Nil
	Applied on 09.03.2012
	Applied on 17.1.12
	Granted
	Installed 
	As per the decision taken in the BMW Committee-1 meeting held on 10.10.12, letter was issued for submission of fresh Noise monitoring report and adequacy report of STP. HCE had informed on 14.8.13 that request has been made to Jamia Milia Islamia for adequacy of STP and NMR of DG Sets. 
	Inspection be conduted. 

	61
	Institute of Liver & Biliary Sciences
	D-1, Vasant Kunj, New Delhi
	ND-177
	188
	Appled on 13.09.12
	Applied on 26.4.13
	Granted
	Installed
	As decided in BMW Commiee-1 meeting held on 10.10.12, a reminder letter was written to HCE  for submission of fresh NMR, Stack Monitoring report, status on formation of EMG and item wise compliance of Env. Clearance.
	Inspection be conduted. 

	62
	NDMC Veterinary Hospital
	Moti Bagh, New Delhi-21
	C-069
	0
	Valid upto 29.07.2013. Not Applied
	Applied on 20.12.2013
	Granted
	 
	HCE has applied for renewal of CTO.
	Inspection be conduted. 
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Sub:- Minutes of the Meeting of the BMW Committee No. 1, ﬁeld on 03.02.2014.

Please find enclosed herewith minutes of the meeting of the BMW Committee No. 1
constituted for deciding Authorization under BMW Rules and Consent under Air/ Water
Acts, held on 03.02.2014 in the Conference Room of Chairman, DPCC at 6" Level, C-Wing,
Delhi Secretariat, I.P. Estate, Delhi-02.

< g
N
2

(Pankaj Kapil)
SEE, WMC-I \

1. P.S. to Chairman, DPCC, for kind information to Chairman, pls. %t.
2. The Member Secretary, DPCC. g\ %
3. Dr. Archana Thakur, Director Prof., G.B. Pant Hospital, Delhi-02. /\:9’

4. Dr. T.K. Joshi, COEH, MAMC, Delhi-02

5. Environmental Engineers (WMC-I).

i ) @‘ ~ &
\_6—8EE, (IT Cell), DPCC for updation of minutes-6f meeting. g/é

Copy to: j(‘)\ ’

1. Trainee Engineers (WMC-I) S N
2. Accounts Officer, DPCC. . ,’X\(\\H\'ﬂ
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The following officials attended the meeting:-

4 1. Sh. Sanjiv Kumar, Chairman,DPCC -- In Chair
4 2. $h. Sandeep Mishra. Member Secretary, DPCC -- Member
= 3. Dr. T.K. Joshi. COEH. MAMC. Delhi-02 -- Member
a 4+ Dr. Archana Thakur. Director, G.B. Pant Hospital, Delhi-02 -- Member
= 5 Sh. PankajKapil. Senior Environmental Engineer (WMC-1). DPCC -- Member

a  7.Sh. Sanjay Vatts, Environmental Engineer (WMC-l).DPCC -- Member

3. Sh. Shyam Sunder. Environmental Engineer (WMC-I).DPCC -- Member

g % Ms. ChetnaAnand. Scientist. Deptt. ofEnv.. GNCTD  --Member

zation under the BMW Rules and Consent under

ng of the BMW Committee No. 1 constituted for deciding Authori
Facilities (CBWTFs) operating in
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Combined Bio-Medical Waste Treatment

having more than 100 beds and three

Following are the decisions taken during meeting:
1. Decisions recommended w.r.t. Agenda No.1, Status of inspections carried out on the orders of National Green Tribunal (NGT)
The agenda was for the information of Committee’s members.

2. Decisions recommended w.r.t. Agenda No.2, Cases of 15 (out of 33 cases) Hospitals which have been discharged by NGT.
. The decision taken w.r.t. these 13 cases are annexed as Annexure-1 and are summarized as follows:-
-
P 7 Cases, [ssue Authorization under BMW Rules..(5t. No.14,15)
= o 1 [ssue Consent to Operate (S Ne. 1& N
- ¢ 3« [ssue Authorization under BMW Rules g
- 1 Authorization under BMW Rules e Renewal of Consent 1 Operate..(Sr.

Show Cause Notice )

> Aunthorization under B o Operate afrs: T (51 o, 411

MW COMMITTEE NO. 1 HELD ON 03.02.2014.

No.B

o

Air & Water Act for Health Care Est
Delhi was held on 03.02.2014.

)

ablishments (HCEs)




[image: image7.jpg]G G

(

é

{

O U U U U U U U

¢

¢ C

v 0 Vv v e

=

1 Case, Issue Authorization under BMW Rules. Issue letter to confirm the exact number of D.G. Sets in possession of the hospital in view of varying figure mentioned in the record
submitted to DPCC by the hospital authorities..(Sr. No. 5)

1 Case,Issue authorization under BMW Rules and Issue Consent to Operate w.r.t. new applications and earlier CTO infructuous..(Sr. No.10, 13)
1 Case,No action at present..(Sr. No.7)

1 Case, Issue Authorization under BMW Rule and Consent to Operate as HCE has applied for consent to operate on 21.01.2014 afresh. Earlier issued consent to operate application
dated 13.04.2010 be made infructuous..(Sr. No10)

3. Decisions recommended w.r.t. Agenda No.3: Cases of 17 (out of 33 cases) Hospitals inspected by Committee constituted by NGT.

The decision taken w.r.t. these 17 cases are annexed as Annexure-II.

1 Case, Ask the HCE to submit adequacy report and fresh effluent analysis report from empanelled agencies of DPCC..( Sr. No. 1)
2 Cases, ssue Authorization under BMW Rules and Issue Consent to Operate..(Sr. No.2,17)
1 Case, Issue Authorization and ask the HCE to submit the status of upgradation of STP..(Sr. No.3)

1 Case, Ask the HCE to apply for authorization and consent to operate afresh as a period of three years since its last application already lapsed. Also ask the HCE to inform the
status of installation of STP..(Sr. No. 4)

1 Case, Ask the HCE to inform the status of installation of STP..(Sr. No.8)
10 Cases, Issue Authorization and ask the HCE to inform the status of installation of STP..(Sr. No. 5,6,7,9,10,11.12.13,14,15) ‘
1 Case, Inspection be conducted..(Sr. No.16)

4. Decisions recommended w.r.t. Agenda No.4: Cases of 14 Private Hospitals which were inspected in compliance of orders of NGT dated 23.08.2013 & 27.09.2013.

The decision taken w.r.t, these 14 cases are annexed as Annexure-IIL.

s, Inspection be conducted..(Sr. No. 3.4.5.,6,7.8.9.10.11.12,13,14)

1)

re directions be issued

ssure directions issued. D on taken on file ratified.(S

, File under submis

sion for issuance of closure directions. Clos

No. 2)
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The decision taken w.r.t. these 03 Common Bio-Medical Waste Treatment Facilities operating in NCT of Delhi are annexed as Annexure-IV in consonance W
decisionmentioned subsequent t0 agenda 6.
gth of 100 or more in NCT of Delhi

a No.6: Cases of remaining Health Care Units having bed stren

6. Decisions recommended w.r.t. Agend:

The Committee decided that inspection w.r.t. these Health Care Units be taken up.

61 Cases, Inspection be conducted..(Sr.No.1to 62. 1Case, Duplicate entry at Sr. No. 24)

In addition to above, following general decisions were taken:-
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