
MINUTES OF THE MEETING OF BMW COMMITTEE NO. 1 HELD ON 15.06.2010.

The following officials attended the meeting:-


1.  Sh. Dharmendra, Secy (Environment) Cum-Chairman, DPCC     --  In Chair

2.  Dr. A.K. Ambasht, Member Secretary, DPCC                             --  Member   

3.  Dr. T. K. Joshi, COEH, MAMC                                                  --  Member

4.  Sh. D.K.Singh , Environmental Engineer (BMW),DPCC              -- Member 

5.  Sh. M.I.Siddiqui, AEE (BMW), DPCC                                        --  Member

6.  Sh. K.Kumar, AEE (BMW), DPCC                                             --  Member

The  meetings of the  BMW Committee No. 1,  constituted  for deciding  Authorization under the BMW Rules  and  Consent under the  Air / Water Acts was held on 15.06.2010. The decisions taken by the Committee, are as follows :  

1. Decisions taken w.r.t. Agenda No.1 (Total 6 Cases of Personal Hearing) are given at S.No. 21 & 68 of Annexure 1 and at S.No 5, 13, 18 & 33 of Annexure 2. 
2. Decisions taken w.r.t. Agenda No 2 (74 Cases of Private Hospitals / CBWTFs / other miscellaneous cases) are at Annexure 1. 
3. Decisions taken w.r.t. Agenda No 3 (Total 59 Cases of Govt. Hospitals / Govt. Research Institutes) are at Annexure 2. 
4. Decisions taken  w.r.t  Agenda No. 4 - Regarding (i) Study on the Lead (ii) An Exploratory Study of Mercury Exposure in Delhi are at  Annexure 3.
5. Decisions taken  w.r.t  Agenda No. 5- Regarding Mercury Waste Disposal in Health Care Facilities, in Delhi are at  Annexure 4
6. Decisions taken w.r.t Agenda No. 6 - Regarding Common Bio-Medical Waste Treatment Facility at Ghazipur, are at Annexure 5.
7. Decisions taken w.r.t Agenda No. 7 - Regarding Electronic Waste Management in Delhi are at Annexure 6.
8. Decisions taken w.r.t Agenda No. 8 - Regarding Authorization of Dispensaries & PUHCs of DHS are at Annexure 7.
Chairman desired that DO Letters to be put up for sending to (i) Principal Secretary Health GNCTD  (ii) Secretary PWD, GNCTD (iii) Commissioner MCD (iv) Additional  Secretary Health, Govt of India (v)D.G ESI (vi) GM (Northern Railway) enclosing list of the hospitals alongwith the deficiencies in each case w.r.t compliance of 5 points etc.   

ANNEXURE 1
                            
                               DECISIONS TAKEN BY BMW COMMITTEE NO.1 IN THE MEETING HELD ON 15.06.2010 W.R.T. AGENDA NO.2 (74 CASES OF PVT.HOSPITALS/CBWTFs/OTHER MISCELLANEOUS CASES/ETC) ANNEXURE 1                                                                                                                                

	   Sl.    NO.
	Name and Address  of the Unit 
	Authorization status
	Consent  Status
	Decision of the committee on 31-8-2007
	Action Taken  w.r.t Decision Taken on .31-8-2007 /  Remarks
	Decision of the committee  in the  Meeting  on 04-10-2007
	Action Taken w.r.t Decision Taken on 04-10.2007

	1.

	M/s Synergy Waste Management Pvt. Ltd.    Near Composite Plant, Sukhdev Vihar      Okhla, New Delhi-20.  


	 Applied for authorization on 22.06.06 for 3 years as per Rules. Authorization was granted on 07.11.06 for 1year 
	Applied for Consent on 27.06.06 with 3 years fee.  Consent to operate was granted on 07.11.06 for 1year.
	1. SCN under rule 7 of BMW Rules is issued for the following: 1. waste should not be kept in open. 2. ‘On Govt. Duty’ on vehicles should not be display. 3. Sludge dewatering device be provided with ETP.4. Manual mode on PLC should not be used. 5. Measures to control smell from BMW be taken. 6. Rota meter should be provided at PC &SC of incinerator.
	1.SCN has been issued on 03.09.2007

2. Inspection has been conducted on 27-9-2007.

 3. SCN u/s 5 of EP Act was issued by CPCB on 7-9-2007 after the inspection on 24-7-2007

4. Operator has submitted reply to both the notices mentioned above.

 5. The fact finding committee has been constituted by DHS for the complaints received from residents of Sukhdev Vihar and the representations received from the operators.

6. Letter issued to The Principal Secretary (Health) for allotment of alternative site.

7. Meeting of Committee constituted by Pr. Secy.(Health) GNCTD, was held on 24.10.07.

8. Authorization under BMW Rules & Consent to operate under Air Act granted to the Operator of CBMWT Facility was upto 06.11.2007.

9. Letter from CPCB dated: 05.10.07 to  CBMWT facility with directions for taking certain measures for the compliance of BMW Rules may also be perused.( Copy enclosed) 
	 The case was discussed in detail  & Show Cause Notice issued to the operator on 03.09.2007, Reply received from the Operator of the CBMWT and inspection carried out on 27.09.07, were also considered  and following decisions were taken :

(i) W.r.t deficiency “The Bio – Medical Waste should be kept in closed bins” mentioned in the said Notice, Reply is factually incorrect and the Committee has decided to issue Show Cause Notice for Closure of the Facility. 

(ii) Regarding  erasing of “ On Government Duty “ printed on the vehicles used for collecting BMW ,  the Committee accepts the reply.

(iii)  Regarding installation of Filter Press with the ETP for dewatering of sludge as mentioned in the said Notice, despite clear Notice the unit has not complied with the directions and given justifications which is not acceptable to the Committee. The Operator of the CBMWT Facility is once again directed to install Filter Press within three weeks and confirm through an Affidavit before next date of meeting of the Committee i.e on 15.11.2007.

(iv) Regarding “The manual mode of operation in the installed programmable Logic Control (PLC) based control system should be removed “  mentioned in the said Notice, Committee is not satisfied with the reply  and the Committee insists that Automatic System (PLC)  Should only be used as  mentioned in th CPCB Guidelines and an Affidavit should be filed by the Operator with in three weeks and he should comply with this direction before the next meeting of this Committee i.e. on 15.11.2007.To ensure that Operator of the said  CBMWT Facility, complies with this direction, the Operator of the Facility , will  submit a  Bank Guarantee of Rs. One Lakh ,  valid for Six month period , in favour of Delhi Pollution Control Committee, within three weeks along with the said Affidavit.

(v) Regarding “Necessary measures should be taken for controlling the smell generated from BMW within the facility “mentioned in the Notice, the Committee accepts the reply, however any discontinuance or irregularity in the action will result in filing of another Bank Guarantee of Rs. One Lakh valid for Six month period, in favour of DPCC, by the Operator of the said Facility.

(vi) Regarding “ Rota – meters and pressure gauges should be installed in the primary and secondary chamber of the Incinerator “ mentioned in the said Notice , the Operator of the said Facility has not filed factually correct reply since the Rota meter and pressure gauges not found installed during the inspection on 27.09.07. The Committee directs him to file an Affidavit after installation of Rota meters and Pressure Gauges, within three weeks.   
	Show Cause Notice u/s 5 of EPA issued on 12.10.07 for the decisions taken by the committee. Reply along with the affidavit received for the compliance of the decision taken by the committee. Informed that provided filter press, informed regarding never use of manual mode of operation in the installed PLC, and regarding installation of Rota meters and pressure gauges, lids provided to all BMW plastic containers and necessary measures taken to control the smell, display sign (on Govt. Duty have been erased, no segregation is done within the facility, records of BMW collection and   incineration / autoclaving are being maintained. Operator of the CBMWT requested for exemption from depositing the Bank Guarantee. As directed by Chairman DPCC letter issued on 07.11.07 informing that no exemption from Bank Guarantee is possible. Operator submitted the Bank Guarantee of Rs. One Lakh , valid for 6 months.

The Operator of the facility had requested for grant of authorization under BMW Rules since earlier granted authorization expired on 06.11.07.( Consent to operate also expired on 06.11.07.)


Decision  Taken by the Committee  in the  Meeting  on 15-11-2007:   Since  a complaint against this unit has been processed & submitted to Hon’ble Lt. Governor , Delhi, and since  its Authorization under BMW Rules & Consent  under the Air / Water Act , lapsed on 06.11.07 , full yearly authorization or 3 yearly authorization / consent under the said Rules / Acts is not possible under the circumstances. An interim extension of the  Authorization under BMW Rules and  Consent to operate under the Air / Water Acts , upto 31.12.2007, is granted by which time the status of the complaint will be decided. Meanwhile Member Secretary, DPCC, will speak to  Medical Deptt./ Directorate of Health Services & get the report of the Committee  set up by them for deciding on shifting  his location.

Action Taken Report w.r.t. meeting on 15.11.07:  (i) Authorization under BMW Rules and consent to operate under the Air & Water Acts extended upto 31.12.07. (ii)  Letter issued to the  Convenor of the Committee constituted for said operator seeking report of the committee. Report waited.   

(III) The operator has submitted a list of 8 units w.r.t the letter issued seeking the list of the units (drug mfg units) from which the operator is collecting BMW waste however the units not applied for authorization.. 

        Decision Taken by BMW Committee No. 1 in the Meeting Held on 15.01.2008 : “Both, the decision of Hon’ble Lt. Governor and the inspection report are not yet available on file. These reports may be expedited and put up on file formally through Member Secretary, DPCC and other members of the Committee to the Chairman. Since this may take 15 days, the authorization under BMW Rules and Consent to operate under Air & Water Acts may be extended for interim period of one month i.e. 31st January, 2008.”

Action taken w.r.t Meeting on 15.01.2008:  

In view of the above decision taken by the said BMW Committee No. 1, the extension of the Authorization under BMW Rules and Consent under the Air / Water Acts up to 31.01.2008, has been issued on 25.01.2008. Report of the Independent Committee received and  put up in file . As directed  by the Chairman, DPCC, the same is placed before the BMW Committee No.1 for the decision. 

Decision Taken by BMW Committee No. 1 in the Meeting Held on 08.02.2008 : 

The report of the Committee constituted by Pr. Secretary (Health) to enquire into the case of M/s Synergy Waste Management Pvt. Ltd. was placed before BMW Committee No-I today. The report is clear that in the long run it would not be advisable to keep the operation of Bio Medical Waste treatment facility at the existing premises at Okhla. Several options of alternate space were discussed. According to Dr. T.K. Joshi, there are three places which can be inspected and a decision can be taken in one of them which is free from all possible health hazards for operating such a facility. These are (a) Deen Dayal Upadhyaya Hospital, Hari Nagar, New Delhi (b) Rao Tula Ram Memorial Hospital, Jafferpur, Delhi & (c) Maharishi Balmiki Hospital, Pooth Khurd, Delhi. 

The above three premises may be inspected by a team headed by Dr. T.K. Joshi, Mr. D.K. Singh and the management of Synergey Waste Management Pvt. Ltd. so that an amicable solution could be found out. The report will be submitted on or before 29.02.2008. The authorization & consent of M/s Synergy Waste Management Pvt. Ltd. may be extended upto 29.02.2008 in view of the above and in the extension letter; one of the deficiencies noted would be communicated.  

Action Taken w.r.t Meeting on 08.02.2008:
(i) Authorization under BMW Rules and Consent to Operate under the Air & Water Acts extended upto 29.02.08 vide letter issued on   22 .02.08 & one of the deficiencies noted has       been communicated.

(ii)A letter dated 29.02.08,  was received from the director of M/s Synergy Waste Management Pvt. Ltd. requesting for extension of authorization under BMW Rules  for one year. As directed by      Chairman, DPCC, a letter has been issued to the said operator informing that the extension of authorization under the said Bio-medical Waste Rules, for a year, is not possible.       
(iii) A team headed by Dr. T.K.Joshi inspected the following three sites on 27.02.08 ;  1. Deen Dayal Upadhyaya Hospital, Hari Nagar, Delhi-64  2. Rao Tula Ram Memorial Hospital, Jafferpur, Delhi- 43.   3. Maharishi Balmiki Hospital, Pooth Khurd, Delhi-39 and report was submitted to Chairman DPCC in file. The team found that none of the above mentioned three sites of the  Hospitals are       suitable for the establishment of a Common Bio-Medical Waste Treatment Facility. As directed by the Chairman, DPCC, the matter is placed before the BMW Committee No.1.(iv) A letter dated 29.02.08, has also been received from the director of M/s Synergy Waste Management Pvt. Ltd., requesting to provide a copy of the said report of the team.

Decision Taken by BMW Committee No. 1 in the Meeting Held on 18.03.2008 :

(i) While Directorate of Health Services (DHS) , Govt. of NCT Delhi and the Private     Operator (M/s Synergy Waste Management Pvt. Ltd, Near Composite  Plant, Sukhdev  

     Vihar, Okhla, Delhi- 20.) will follow up with DDA for allotment of land for    the Common Bio Medical  Waste Treatment Facility  , this matter will be raised in the    list of issues to be taken up by      Chairman, DPCC with Vice Chairman, DDA.

(ii) Authorization under BMW Rules and Consent to Operate under the Air & Water Acts extended upto 30.04.2008.(iii)Operator must get the land organized by  himself or  through DDA.  

Action Taken w.r.t Meeting on 18.03.2008:

(i) Aforementioned decision taken by the BMW Committee No.1, was sent to CMC for inclusion in the list of issues to be taken up by  Chairman, DPCC with Vice Chairman, DDA.

(ii) Authorization under BMW Rules and Consent to Operate under the Air & Water Acts extended upto 30.04.2008 vide letter issued on 09.04.08 mentioning the aforementioned decision taken by the BMW Committee No.1 in the meeting held on       18.03.08. 

(iii) Copy of the said letter was also sent to Directorate of Health Services (DHS) , Govt. of NCT Delhi.

(iv) A letter dated 28.04.08 has been received from the director of M/s Synergy Waste Management Pvt. Ltd., requesting for extension of  authorization. Vide another letter dated 28.04.08 the Director of the unit has stated the back ground / brief of       the allotment of the said site by DDA to DHS for the said facility and also stated that the said site was inspected by officials of DHS, CPCB,  DPCC & COEH prior to its establishment. The said site is on the allotted land by DDA to DHS for       carrying out the activities of treatment and disposal of BMW. It is also mentioned that in the surrounding area is being used for waste management activities e.g. Okhla STP, MCD compost plant, NDMC waste to power project etc. It is mentioned       that DHS and DDA are in a better position to explain about the site that was already given to the operator or suggest an alternate site for  the treatment and disposal of BMW. It is also mentioned by the operator that whatever directions were given to       the operator, the same was complied and also enclosed the copy of stack monitoring report and water analysis report dated 19.09.07. showing parameters within the prescribed limit. It is also mentioned that the operator has approached DHS for       looking for an alternate land also. Requested for looking the matter sympathetically and for grant of authorization under BMW Rules and Consent to Operate under Air and Water Act.

v. A representation has been received from the residents of Sukhdev Vihar, DDA flats regarding health hazards due to treatment of large quantity of BMW at the said plant of CBMWTF. Near the residential area of Sukhdev Vihar    

Decisions Taken by BMW Committee No. 1 in the Meeting Held on 06.05.2008 :

(i) For finding a suitable alternative site for this  Common BMW Treatment Facility, a letter may be written by Chairman, DPCC, to Vice Chairman, DDA, and Commissioner, MCD, since this unit will have to be trans-located soon.

(ii) Authorization under BMW Rules and Consent to Operate under the Air & Water Acts extended upto the   next BMW Committee meeting  on 13.06.2008.

Action Taken w.r.t Meeting on 06.05.2008: 
(i) Letter issued to, Vice Chairman, DDA, and Commissioner, MCD, for finding a suitable alternative site for this  Common BMW Treatment Facility .
(ii)Authorization under BMW Rules and Consent to Operate under the Air & Water Acts extended upto  13.06.2008 vide letter issued on  21.05.08.Representatiom from the operator  received regarding extension of Authorization.  

Decisions Taken by BMW Committee No. 1 in the Meeting Held on 13.06.2008 : Authorization  under BMW Rules and Consent to Operate under  the Air & Water Acts extended upto the next BMW Committee meeting  on 14.07.2008.
Action Taken w.r.t Meeting on 13.06.2008:  (i) Authorization under BMW Rules and Consent to Operate under the Air & Water Acts extended upto  14.07..2008 vide letter issued on  27.06.08.
(ii)  A  letter  from CMO ( BMW) , Deptt of Health Govt. of NCT , Delhi  received informing that Deptt of Health & Family Welfare ,GNCT  Delhi, has already taken up the matter   with  the DDA & has applied for an alternative land for  the present CTF at Okhla. 
         Decisions Taken by BMW Committee No. 1 in the Meeting Held on 14.07.2008 : “Ask the two operators that on what basis they are charging the fee and how are they increasing the fee overnight by 100 %. A formal clear justification of  increasing the fee may be submitted that must be examined properly and file may be submitted administratively.If the unit does not behave, no further extension of authorization will be granted.  Reply must come within 15 days and file to be put up administratively. 
  Action Taken w.r.t Meeting on 14.07.08:     Letter issued to both the Common Operators of Bio- Medical Waste Treatment Facilities in Delhi . 

 Decisions Taken by BMW Committee No. 1 in the Meeting Held on 27.08.2008 : Both Metro-Biocare & Synergy are unauthorizingly increasing prices. File to be submitted administratively without waiting for minutes.

Action Taken w.r.t. Meeting on 27.08.2008 :  File  submitted administratively. As directed by Chairman, DPCC,  information has been tabulated and dealt in common file on the issue of rates /service charges. A PIL has been filed against the operator . Representations  have been received from the unit ( also from Chief Minister Office ) regarding request for extension of authorization. 
Decisions Taken by BMW Committee No. 1 in the Meeting Held on 29.09.2008:  (i)  Action as per the decisions taken today  in  case of  Agenda No. 1 (Regarding  rates / service charges  for BMW ). 

                                                                                                                                    (ii) The same Committee which  inspected earlier  will inspect now for PLC system  and file report by 30.10.2008 at which time Bank Gaurantee  issue  

                                                                                                                          will be decided. 

Action Taken w.r.t. Meeting on 29.09.2008 : (i) Letter issued Regarding  rates / service charges  for BMW.

                                                                    (ii) Inspected on  15.10.08.

                                                                             (iii) There is PIL/High Court Case WP(C) 6976 of 2008 “P.K. Nayyar & Others Vs U.O.I & Others, regarding case filed against M/s Synergy Waste Management Pvt. Ltd. by the residents of DDA Flats Sukhdev Vihar, Delhi. DPCC is one of the respondents and Affidavit has been filed in the Court. High Court vide order dated 24.09.08 had requested Chief Secretary, GNCT Delhi, to convene a meeting of the Secretaries of the concerned departments and key personnel of the concerned agencies with  a view to taking urgent steps for relocation of the BMW   treatment facility.  The meeting was taken by the Chief secretary on 22.10.08.  Two  Letters  received from the Operator,  one regarding the representation w.r.t. meeting of Chief Secretary, Delhi regarding the High Court Case and another one in reply to the letter issued to the Operator on the Rate/charges for BMW  issue.     
Decisions Taken by BMW Committee No. 1 in the Meeting Held on 30.10.2008:

Chief Secretary, Govt of  NCT Delhi,  took a meeting  on  22.10.2008 & follow up action is being taken accordingly . The  BMW Committee  will be apprised of the updated position on 28.11.2008 . Regarding  letter received from the Operator on the issue of Rates / Service Charges for BMW ,  Operator  be asked to follow the Directorate of Health Services(DHS) agreement. Place a copy on the file.  Inspection of the unit was conducted by Independent Committee headed by Air  Mashl (Retd.) L.K.Verma , Dr. T.K..Joshi  & DPCC official  on 15.10.08 . The inspection report was placed before the Committee. Installed Programmable Logic Control (PLC) based control System was  found in use & found  operating satisfactorily. Independent Committee had recommended in its report to segregate Cat 6 waste in red bags (and not in yellow bags) to reduce load on the incinerator in order to reduce emission and particulate matter pollution. Both  the Operators be issued a letter in this regard to convey this to their member units  for proper segregation of the Bio-Medical Waste.

Action Taken w.r.t. Meeting on  30.10.2008 :  (i)  Letter issued to both the Operators to follow the Directorate of Health Services(DHS) agreement & to convey  the aforementioned decision of the Committee  to their member units for proper segregation of the Bio-Medical Waste. (ii) Team constituted for visit of  area  for Rural Growth Centre Site  at Ghogha  Village , not found the site suitable since the area is being developed by MCD for Relocation of Dairies & it was also revealed that in the nearby area there is Air Base of Armed Forces.   
(iii) A Team constituted by Chief Secretary ,GNCTD ( as decided in the meeting on 22.10.08), also visited the sites on 31.10.08, as suggested by the representatives of the  Association of  residents of  DDA Flats Sukhdev  Vihar , Delhi, and submitted its report . 

(iv)Next Date of Hearing in the said PIL is on 14.01.2008. 


 (v) M/s Synergy Waste Management Pvt. Ltd , has given representation and requested for extension of the Authorization under BMW Rules.

Decisions Taken by BMW Committee No. 1 in the Meeting Held on  28.11.2008:

Extension of Authorization allowed up to today i.e. up to 28.11.2008 . Further action will be taken based on the decision  about the  location. Dr. Chetna to Talk to Dr. K.S. Baghotia , CMO( BMW) of DHS regarding the representation received from the Operator on the Issue of  rates / service charges for BMW.

Action Taken w.r.t. Meeting on  28.11.2008:                           Letter issued

Decisions Taken by BMW Committee No. 1 in the Meeting Held on  29.12.2008:

Ask the unit to comply with the prescribed  standards  with a stringent warning that if any of the parameters are not met authorization will be cancelled. Also if the unit does not abide by any of the  cluase of the agreement with DHS its authorization will be cancelled. Unit may be directed to contact DHS and get his premises shifted to the new site as per the minutes of the meeting taken by the Chief Secretary, Govt. of Delhi last week. The relocation has to be done at his own cost and risk as DPCC is not happly with his style / system of functioning as noted during the various inspections of the unit. Call on 29.01.2009. 

Action Taken w.r.t. Meeting on  29.12.2008:                  Letter issued. 
Decisions Taken by BMW Committee No. 1 in the Meeting Held on 29.01.2009 : 
 Ask the unit to file full compliance of directions issued to it earlier. Call on 02.03.2009.
Action Taken w.r.t. Meeting on 29.01.2009: Letter issued. Reply received. Informed regarding the measures taken & requested for extension  of authorization. During the hearing on 25.02.09, in the said High Court Case, Hon’ble High Court has directed DPCC to inform the Court regarding the Criteria if any, regarding the distance of Common Bio Medical Waste Treatment Facility (CBWTF) from the Residential area, available in the guidelines of CPCB or evolved by Delhi Pollution Control Committee or any other State Pollution Control Boards/Pollution Control Committees.
Decisions Taken by BMW Committee No. 1 in the Meeting Held on 02.03.2009

Call for personal hearing on 27.04.2009 at 3.10 PM. The operator will follow the rates for collection, transportation and treatment of Bio-Medical Waste as decided by the Directorate of Health Services (DHS) earlier and also communicated to the operator vide letter dated 24.02.2009, If  the operator flouts, Authorization will be cancelled.

Action Taken w.r.t. Meeting on 02.03.2009:                  

Letter issued. Representation received from the operator. 

In the High Court Case “P.K. Nayyar and others Vs UOI and others” in W.P.(C) 6976/2008, pursuant to the court order dated 04.03.2009, local Commissioner appointed by the court had inspected the site identified for CBWTF, on 05.03.09 and given its report to the court, pointing out certain observations regarding several residential areas, residential staff quarters, MCD primary school in the nearby of the said identified site for CBWTF. It is also mentioned in the said report that several residents of nearby colonies gathered at the site and were  expressing objections to the installation of BMW treatment facility at the proposed location. Thereafter vide order dated 06.03.2009, the court had directed the Asstt. Commissioner, DJB, to identify the site within one week, in the presence of the representative of the petitioners, the Pollution Control Board, Department of Health, NCT of Delhi and respondent no. 7. The Pollution Control Board was directed to submit a detailed report in the light of the report of the Commissioner.
Hon’ble High Court has given following order on 01.04.2009 “Counsel appearing for the Pollution Control Board seeks four weeks’ further time to make a report. She says that the board will inspect the site in presence of the officers of the Delhi Jal Board. Learned counsel appearing for the Delhi Jal Board states that the Board officers will accompany the officers of the Pollution Control Board at the time of the site inspection. The SHO of the concerned Police Station shall extend police protection, if necessary, to carry out the site inspection by the Pollution Control Board. Adjourned to 6th May 2009”. 

Reply dated 02.03.2009 was received from the Operator along with analysis report of Volatile Compound in ash (for sample collected by Guru Gobind Singh Indraprastha University on 06.02.09) showing the Volatile Compound in ash with in  the limit. 
As directed by Chairman, DPCC, inspection was carried out by the team of Dr. T.K. Joshi in presence of officials of DJB on 22.04.09

and the report of the team and affidavit, as approved by Chairman, DPCC has been filed in the High Court.

Decisions Taken by BMW Committee No. 1 in the Meeting Held on 27.04.2009 : 

The representatives of the CBWTF came for personal hearing today. Case to be taken up on 25.05.2009 after confirmation on the rates from Directorate of Health Services GNCT Delhi.

Action Taken w.r.t. Meeting on 27.04.2009: Letter issued to DHS on 08.05.09, reply awaited. Letter dated 25.05.09 received with request for extension of the authorization 

        High Court case in the aforesaid matter is pending.
Decisions Taken by BMW Committee No. 1 in the Meeting Held on 01.06.2009 : 






        Call on in next meeting.

Action Taken w.r.t. Meeting on 01.06.2009 : 
(i) Reply w.r.t letter dated 08.05.09 received from DHS and it has been informed that  there is no provision of extra Bio-Medical Waste in the contract entered with DHS under clause 2 of the agreement with M/s Synergy Waste Management Pvt. Ltd. and informed that proposal as mentioned in the letter of DPCC cannot be agreed. 

(ii)  Earlier Director DHS vide letter dated 01.05.09, had  requested to look into the matter regarding grant of  authorization to the operator having agreement with DHS for 10 years for operation of       CBWTF.  

(iii) The Operator has applied for the renewal of Authorization on 11.08.2009 and requested for renewal of the authorization for a further period of 3 years from the date of authorization given to the        operator on 07.11.06. 

(iv)  A letter  dated  24.07.09 has been received from Delhi Medical Association regarding non compliance w.r.t rates decided by DPCC  by both the operators. 

(v)  High Court case  in the aforesaid matter is pending and next date of hearing is on 28.10.09.

Decisions Taken by BMW Committee No. 1 in the Meeting Held on 08.09.2009:

 Inspection to check PLC & also issue letter to DHS regarding rates.

Action Taken w.r.t. Meeting on 08.09.2009: 

(i)Unit was inspected on 24.09.09. Incinerator was found in operational condition, PLC was found in use. 
The unit should ensure proper functioning of PLC and ensure that it is tamper proof.

(ii) Letter to DHS issued.

(iii) Letter from unit received on 22.10.09 confirming that necessary suggestion/modification have been carried out in PLC. 
(iv) Unit has submitted representation dated 11.11.09 regarding rates charged by another CBWTF operator (M/s Biotic Solutions, 46, SSI Industrial Area, Delhi-33).

      Unit has also requested for grant of authorization under BMW rules.       
(V) Applied for CTO (renewal) on 19.11.2009.

(vi) Court order dated 28.10.09 in W.P.(C)No.  6976/2008 was placed before the Committee & was discussed .The next  date of hearing in the said case is on 14.01.09. 

(vii) Another representation dated 19.11.09  received from the unit was also placed before the Committee,  

Decisions Taken by BMW Committee No. 1 in the Meeting Held on 25.11.2009:
(i)  Authorization under BMW Rules and Consent to Operate under the Air & Water Acts, granted  to the unit till 14.01.2010 with condition that Hon’ble High Court Orders in  W.P.(C) No. 6976/2008  will be  binding upon the unit.

                      (ii) M.S. DPCC to write a letter to CPCB  enclosing copy of order dated 28.10.09 in W.P.(C) 6976/2008, for defining specific distance criteria for CBWTF in Delhi & call the concerned officials of CPCB for discussions on the matters        related to said court case.

  (iii)  Send copy of High Court Order dated 28.10.09 in W. P. ( C) No. 6377/2004, for compliance & seek compliance report within 15 days.  
Action taken w.r.t. Meeting on 25.11.2009:
(i)Authorization issued on 18.12.09 with validity upto 14.01.10 & CTO issued on 17.12.09 with validity till 14.01.10. 

(ii)A letter was sent to CPCB on 07.12.09 for defining specific distance criteria for CBWTF in Delhi & Concerned officials of CPCB were called for discussions on the matter on 10.12.09 & CPCB has sent its comment vide letter dated 18.12.09.

(iii) Copy of High Court Order dated 28.10.09 in W. P. (C) No. 6377/2004, for compliance issued to the unit on 08.12.09 & reply received on 16.12.09. 
(iv) SCN u/s 5 of EPA issued on 13.01.10 w.r.t  the monitoring of incinerator by CPCB(Monitoring Report of CPCB shows Particulate Matter Concentration was not meeting the prescribed standards.) . Reply received. Monitoring report of incinerator submitted after CPCB monitoring conducted by GGSIPU on 25.12.09, parameters meeting the standards.

(v) Affidavit was filled by DPCC in the said High Court matter W. P. (C) No. 6976/2008 & order of Hon’ble High Court dated 14.01.2010 is enclosed. Next date of Hearing in the matter is 02.03.10.

(vi) Affidavit in the said matter has been prepared by legal cell.

(vii) Unit has requested for grant/extension of Authorization under BMW Rules & Consent (Renewal) under the Air & Water Acts.
Decisions Taken by BMW Committee No. 1 in the Meeting Held on 24.02.2010:

(i) Authorization under BMW Rules and Consent to Operate under the Air & Water Acts, granted/extended to the unit for 6 months from the date of  expiry of previous Authorization & Consent granted to the unit., with condition that Hon’ble High Court Orders in  W.P.(C) No. 6976/2008  will be  binding upon the unit. The Authorization & Consent are to be issued after submission of Bank Guarantee of  Rupees One  Lakh only in favour of Delhi Pollution Control Committee for One Year period.

Action taken w.r.t. Meeting on 24.02.2010
                         1)Bank Gurantee of Rs 1 Lakh submitted by the unit.

                         2) Authorisation (renewal) & Consent To Operate (renewal) exented upto 14.07.10 issued.

                         3) Regarding High Court case in W. P. (C) No. 6377/2004, 2 meetings were taken by Chief Sectretary Delhi on 20.04.10 & 14.05.10 and as decided affidavits have been filed by DHS. It was decided in meeting on 20.04.10 that                          land at STP okhla alloted by DJB for shifting CBWTF from its present site is quite fit for shifting the CBWTF of   M/s Synergy Waste Management Pvt. Ltd.    Near Composite Plant, Sukhdev Vihar Okhla, New Delhi-20.  

                         In the said meeting on 14.05.10 director of M/s Synergy Waste Management Pvt. Ltd. Sh. Neeraj Aggarwal explained that he is not in a position to shift CBWT  from its present location due to various reasons & apprehentions. It                          was further stated by him that due to various apprehentions /reasons he is no more interested to operate its plant at exsisting site & expressed his desire to withdraw from the contract with DHS. Chief Secretary asked him to                          continue to operate the CBWTF till a new CBWTF with Delhi Government collabaration is set up since it will take some more time to establish CBWTF at  Nilothi.It is learnt that as decided in the meeting of Chief Sectretary on                          20.04.10, a notice has been issued by DHS to M/s Synergy Waste Management Pvt. Ltd.    Near Composite Plant, Sukhdev Vihar      Okhla, New Delhi-20.  

                        4) The next date of hearing in the said matter is 14.07.2010.
                        5) Unit was inspected on 19.05.2010 by a team of Dr. T.K Joshi & plant & machinery found operational. Air Pollution Control Device, Venturi Scrubber was opearting. 
Decisions Taken by BMW Committee No. 1 in the Meeting Held on 15.06.2010:

                          (i) Authorization under BMW Rules and Consent to Operate under the Air & Water Acts, granted/extended for 3 months,  upto 14.10.2010  to the unit , with  condition that Hon’ble High Court Orders in  W.P.(C) No. 6976/2008                                 will be  binding upon the unit.            
 (Dharmendra)           (Dr.A.K..Ambasht)             (Dr.T.K.Joshi)          (D.K.Singh)              (K.Kumar)              (M.I.Siddiqui )                        
 Chairman, DPCC    Member Secretary, DPCC    COEH, MAMC       EE (BMWM Cell)   AEE (BMWM Cell)  AEE (BMWM Cell) 
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	2
	Metro Bio-Care services (P) Limited, 55,Railway Road, Samaipur Industrial Area, Delhi -42
	CBWTF
	NW-359
	Applied for Renewal of authorization on 28.11.2008.
	Applied for Renewal of Consent ON 26.11.08
	Granted
	NA
	NA
	Installed
	1.As decided by committee in its meeting held on 02.03.2009, letter was issued on 24.03.2009 to follow the rates as decided by DHS & as decided letter was issued to DHS.
2.As per monitoring report for incinerator conducted by CPCB on 06.08.09, reported parameters are meeting the prescribed standards.
3. DPCC in its Board meeting 09.12.09, has decided not to issue any Consent to the unit in all these areas (areas for development in MPD-2021) unless unit submit land use clearance.
4. The matter has also been appraised to Hon'ble Chief Minister Delhi.
5. Meeting with DDA, MCD & Industries Department officials was held on 4th & 8th march 2010 regarding permissiblity of the CBWTF considering the povisions of MPD-2021 particularly provisions for Redevelopment of unplanned industrial areas.As decided a letter was also issuedto DDAon10.03.10 seeking clarification on the issue. Reply dated 06.04.10 was received from DDA mentioning " Those industrial units covered under public utility as per MPD-2021 but are involved with the processing and treatment of the hazardous waste may be allowed to continue provided they confirm to the environmental laws to be examined by Delhi Pollution Control Committee/ concerned Environmental Body."
5.No. of reperserntations/letters  received from the unit requesting to issue Authorisation (renewal) & Consent (renewal).
6. Complaints were received against the unit & inspection was carried out by a team including Dr. T. K Joshi on 09.04.10 & incineartor & other plant & machinery  found operational.
7.The matter was put up in the file for decision on Consent & Authorisation.
	Call meeting of DDA, MCD & Deptt. Of Industries on this matter in the office of Chairman DPCC.
	1. Meeting of DDA, MCD & Industries Department was held on 4th & 8th March 2010.
2. Unit was inspected on 09.04.2010.
3. The mattter was put up in file for deciding Authorisation & Consent.
	Defer for next meeting.

	3
	Biotic Solutions, 46, SSI Industrial Area, Delhi-33
	 
	NW-408
	Granted (Valid upto 07.10.10)
	Granted (Valid upto 12.08.12)
	Granted
	NA
	NA
	Installed
	1.Applied for Consent to Establish under the Air & Water Acts, on 27.02.09 for establishment of CBWTF. As per the decision taken by the BMW Committee in the meeting on 02.03.09, an inspection of the site  was carried out  by the Team of Dr. T.K.Joshi, and the team recommended for EIA.  EIA REPORT was submitted . CTE issued on  14.05.09 as decided by the BMW Committee No 1 , in its meeting on  27.04.09.
2.Inspection was conducted, by a team led by Dr. T. K Joshi on 02.09.09. 
3.Complaints were received  From Sh Jitendra Sharma, President of Little Scholar Education Society, of Gazipur Delhi against the establishment of the said CBWTF.
4. Inspections were carried out by Dr. T. K Joshi team on 02.03.09 &  02.09.09 and as decidedon file Authorisation & CTO  were issued to CBWTF on 08.10.09 & 01.10.09 respectively.
5. As desired by EPCA an inspection was carried out by the team of Dr. T.K Joshi on 26.05.10 & plant & machinery including incinerator, autoclave were found in operational conditions. Incinerator & Autoclave was not in operation during the inspection as Bio Medical Waste was awaited. CBWTF operates at night hours.
6.Representation received from unit for subsidy towards CBWTF. A letter also received from MOEF in this regard.
	No Action 
	CBWTF was inspected on 26.05.10.
	Put up administratively.

	4
	Sembramky Environmental Management  Pvt. Ltd
Khasra No. 83/22, Nale Wali Gali, Mundka Udyog Nagar, Delhi-41
	CBWTF
	W-370
	_______
	____
	23.06.08 (CTE)
	__
	__
	__
	This is a fresh case.  Applied for CTE on 23-07-08 for the Establishment of Common Bio-Medical Waste Treatment Facility (CBWTF) at Mundka.
The activity “ Hazardous Waste Processing viz.hospital/medical/industrial waste” is mentioned at sl no. 46 of the list of prohibited / negative list of industries (Annexure III) of MPD 2021.  As per  the note given in the said Annexure III a Public utility service involving any of the activities referred to above shall be permitted subject to environmental laws.4. The applicant has mentioned that plot area for the said facility will be one acre.5. The applicant has mentioned that all the required equipments like incinerator (Double Chamber) with venturi scrubber, autoclaves, shredder etc. shall be installed.  ETP shall be installed and treated effluent shall be reused.6.Letter received from COI. informing that the  area for the site is not a conforming industrial area as on date. However for setting up BMW Treatment Facility in the area, DPCC may decide on its own level depending upon dire need of Delhi as well as, as per provision of MPD-2021 in consultation with DDA, if needed.
2.Meeting with DDA, MCD & Industries Department officials was held on 4th & 8th march 2010 regarding permissiblity of the CBWTF considering the povisions of MPD-2021 particularly provisions for Redevelopment of unplanned industrial areas.As decided a letter was also issuedto DDAon10.03.10 seeking clarification on the issue. Reply dated 06.04.10 was received from DDA mentioning " Those industrial units covered under public utility as per MPD-2021 but are involved with the processing and treatment of the hazardous waste may be allowed to continue provided they confirm to the environmental laws to be examined by Delhi Pollution Control Committee/ concerned Environmental Body." The matter was put up in the file & as decided to be placed before BMW Committee NO.1.
3.Another repersentation dated  01.06.09 was received from the unit requesting for grant of CTE.
	Call meeting of DDA, MCD & Deptt. Of Industries on this matter in the office of Chairman DPCC, as decided in case of unit at S.No.2.
	1. Meeting of DDA, MCD & Industries Department was held on 4th & 8th March 2010.
	It was decided  to make a policy for  requirement / Establishment of CBWTFs in Delhi  for which a Committee was constituted consisting of following:
i)Dr. T.K Joshi of COEH.
ii)SPO, BMW DHS
iii)EE, BMW, DPCC
(iv) Dr. Chetna Harjai, Env. Deptt. The Committee to submit the report within a month.

	5
	Yashraj Bio-Technology Ltd., C-34.Mulund (West), Mumbai-80 ( C. Add. -Plot No -C-232, TTC Industrial Area, MIDC, Navi Mumbai-400705)
	NA
	Mumbai
	Granted
(Valid upto 05.05.12)
	Not Applicable
	____
	__
	__
	__
	1.Replies to the letters issued were received & unit submitted the asked photographs , an affidavit as asked by the BMW Committee and other information sought. 
3.Authorization as decided in the BMW meeting held on 06.05.08 was issued to the unit.& remaining fee for two years was returned to the unit.
4.Reply to the letter issued on 17.02.09 received on  27.02.09 & 27.04.09 informing about the  Training Protocol & qualification of the Trainers .
5.As decided in meeting held on 04.09.09 Authorization ( Renewal ) issued to the unit    which is valid upto 05.05.12. 
6. As decided in meeting held on 25.11.09 Inspection was carried out on 09.02.2010 G.B Pant Hospital in respect of this unit & following were observed:
(i)N-95 mask & gloves were used by person collecting the sample.
(ii) Bottles inwhich BMW fluid being carried out were seen having Bio Hazard Symbol & label.
(iii)samples collected are transported to mumbai through SAFEEXPRESS via road.
	Inspection of Storage Site.
	Storage site was inspected on 31.05.2010
	A letter to be written to the unit in consultation with Dr. T. K Joshi regarding observations made during the inspection on 31.05.2010.

	6
	SMS Water Grace BMW Pvt. Ltd, CBWTF SITE AT Nilothi Sewage Treatment Plant Complex of DJB, Nilohi, Delhi-41       (Correspondence Adress: 405, 4th floor 32-33, Kusal Bazar, Nehru Bazar, New.Delhi-19) 
	CBWTF
	W-401
	_
	_
	Granted
(ON 20.04.10)
	__
	___
	___
	1.Applied for CTE on24.12.09 for CBWTF at Delhi Jal Board STP Plant Nilothi.
2.Submitted EIA report on 01.02.10.
3. The site was inspected by officials of DHS,DPCC & DJB on 05.03.09.
4. DHS awarded the land for setting of the centralised Bio Medical waste Treatment Facility. (1/2 acre i.e 50.6  x  40 sq.m).
5. The matter was discussed in the meeting with DDA & MCD on 4th/8th March 2010. As discussed in the meeting CBWTF can be established in STP Complex.
6. Letter received from DHS regarding grant of CTE to the CBWTF.
7.Complaints were received qagainst the CBWTF. Site was inspected by team including Dr. T.K Joshi of COEH & Scientist from Env. Deptt on 09.04.10.
8.The matter was put in file & as decided CTE issued to unit on 20.04.10. 
	Case to be discussed in the meeting scheduled to be held with  DDA & MCD regarding CBWTF.
	Inspected by team including Dr. T.K Joshi  team .
As decided in file CTE issued to the unit on 20.04.10.
The said decision taken in  file regarding grantof CTE to the unit to be ratified by BMW Committee No.1.
	Decisions taken in the file regarding grant of CTE ,ratified by the Committee.

	7
	FoundationInternational Charitable Trust Society (Correspondence addresss :306, Kohat Enclave, Pitampura, Delhi -34)
sit address: Commercial Centre, Pitampura, delhi-34)
	500
	NW-415
	……….
	 
	Not Applied for CTE 
	__
	___
	___
	1.The project was  in the list of 18 projects provided by MoEFvide letter dated 16.04.08. Notice issued on 30.04.08 for applying for Consent to Establish and to submit Environment Clearance from MoEF 
2. As decided, the Unit  was asked  to file following five things :
(i)Consent to Establish
(ii)Environmental Clearance
(iii)Affidavit indicating date of start of construction and completion of construction.
(iv) Approved architectural drawing
(v) Completion Certificate.. 
3.Personal hearing was given  to the unit on 30.10.08. and as decided a letter was issued.
4.Copy of Environmental  Clearance by MOEF dated 04.11.08 received.
5.Reply was received asking for time to complete the work.
6 Letter issued for Consent to Establish.
7.Reminder for CTE was issued on 23.06.09 & again on 24.12.09 .Site of the proposed  hospital was inspected on 12.11.09 and it was found that construction has not been started so far, concerned portion of plot was laying vacant. 
	Inspection after 3 months.
	Site of proposed Hospital was inspected on 26.05.10.          and it was found that construction has not been started so far, concerned portion of plot was found vacant.
	No Action at present.

	8
	Shriram Institute for Industrial Research , 19, University Road, Delhi-07.
	Research Institute
	N-069
	Applied on 20.04.10
	Applied on 11.11.08
	Applied on 22.08.08
	Installed
	Installed
	Installed
	1.This is a case of Research Institute which is having animal house and generates BMW.
2.Institute is having D.G Sets for which accoustic enclosure provided &noise monitoring report for D.G Sets submitted on 08.08.08. 
3. ETP installed & adequacy report submitted however without effluent analysis report for treated effluent. It has been informed that final adequacy report including phase II will be submitted latter on. Matter was put up in the file & as decided a letter has been issued on 07.05.10. 
	Show Cause Notice for Refusal of Authorisation giving 15 days time.
Put up administratively thereafter. 
	1. SCN issued.
2. Reply received. File was put up administratively. As decided on file Letter issued. File was put up administratively.
	CTE granted. M.S to talk to Director of the institute for necessary action.

	9
	I.P Medical Corp. Ltd.Sarita  Vihar , Mathura Road , New Delhi-44
	615
	S-003
	Granted
(Valid upto 19.01.13)
	Granted    (Valid upto 02.07.12)
	Granted
	Installed
	Installed
	Installed
	1.Hospital has been asked to apply for Consent to Operate for additional 200 beds as and when applicable.
2.Hospital was inspected on 24.09.09 and as decided letter for rectification of deficiencies issued.
3.Sample of treated effluent was collected during inspection on 24.09.09 and analysis report of DPCC labortary indicates parameters are meeting the prescribed standards..
4.Repy received on 04.01.10 inforing about rectification of deficiencies..
5.Letter received on 13.01.10 requesting  to extend the earlier granted CTE by a period of 1 yr. 
	CTE, CTO (Renewal) & Authorisation (Renewal) granted.
	CTE, CTO & Authorisation issued.
	Ask the unit to deposit fee for 1 year(extended period) at the time of submission of application for Consent to Operate for additional 200 beds. 

	10
	St. Stephen's Hospital Tis Hazari, Delhi-54
	595
	N-002
	Granted   (Valid upto 02.07.12) 
	Granted
(Valid upto 22.11.11)
	Granted
	Installed
	Repersentation received regarding high water table. Letter from CGWA submitted.
	Installed
	1.Hospital  was inspected on 09.11.09 &
(i) ETP found in operation however septic condition was observed in secondary clarifier.
(ii) It was also informed that some portion of ETP is coming under the proposed bridge of MCD for which aeration tank will be demolished.
2. As decided in meeting held on 25.11.09  Letter for deficiencies  issued. Reply received on 06.01.10 informing about the rectification of defeciences. Letter received regarding request for permission to give 2 bottles of Hepatitis B blood to National Institute of Immunology for Research purpose.
	Authorisation & CTO (Renewal) granted.
Hospital permitted to  give  2 bottles of Hepatitis B blood to  National Institute of Immonology for Research purpose, with conditions to be  imposed in consultation with Dr. T. K Joshi.
	Authorisation, CTO & letter issued.
	Letter seeking present status w.r.t ETP.

	11
	Fortis Hospotel  Ltd. (Earlier Oscar Bio Tech Pvt. Ltd.) A- Block Shalimar, Delhi-88
	258
	NW-434
	Granted
(Valid upto 09.03.13)
	Granted
(Valid upto 22.09.12) 
	Granted
	Installed
	Installed
	Installed
	1. Environmental Clearance (EC) was given by MOEF vide letter dated 20.04.2007 for 550 bedded hospital.
2. Earlier unit had submitted point wise compliance w.r.t. EC conditions and an affidavit was also submitted in this regard.
3. An inspection of the premises was carried out on 27.08.08 and construction of Phase-I, was going on. Thereafter the mattar was placed before BMW Committee No.1, and as decided in BMW Committee/ CMC (Orange) meeting  letters were issued to the unit. As decided by CMC (Orange) Committee damage of Rs. 10 Lakh & Bank Guranttee of Rs. 1.2 crore were asked from the unit vide letter dated 19.09.08.
4. Unit had filed appeal before Appellate Authority (Financial Commissioner) against the said decisions  and stay was  given by the Appellate Authority Reply was filed by DPCC in the said appeal.
5. Unit requested for Grant of  CTE and deposted Rs. 10 Lakh (Damages) and also requested for examption for submission of Bank Guarantee of Rs. 1.2 Crore. Latter on the appeal was also withdrawn by the unit.The matter was put up in concerned filed and decided CTE was issued to the unit 21.01.10. 
6.The hospital was inspected by team including 
Dr. T.K Joshi on 22.01.2010. 
	Decisions taken in the concerned file after the last meeting of the Committee, ratified. Consent to Operate under the Air & Water Acts and  Authorization under BMW Rules granted to the unit however to be issued after submission  of Bank Gurantee of Rupees twenty five lakhs for 3 years in favour of Delhi Pollution Control Commiittee, by the unit.
	1. Bank Guranttee of Rs. 25 Lakh was submitted by the unit . Authorisation & CTO Issued.
2.Letter received on 22.03.10 informing that hospital is yet to commence operations & will  submit the Adequacy Report.
	Letter for adequacy report for ETP.

	12
	Sir Ganga Ram Hospital, Rajender Nagar, New Delhi - 60
	675
	C-005
	Applied for renewal on 18.03.10
	Applied for renewal on 18.03.10
	Granted
	Installed
	Installed
	Installed
	1. Informed that having CGWA clearance, have phased out mercury based thermometers & in active process of phasing out mercury based instruments.      
2.Unit was inspected on 23.09.09 & (i) ETP found operational.(ii)Total beds were 675.(iii)BMW management was satisfactory.Sample of treated effluent was also collected on 23.09.09 and analysis report of DPCC laboratory shows that parameters within prescribed standards.                                                                         
	No Action 
	Applied for renewal of Authorisation & CTO on 18.03.10.
	Authorisation(renewal) & CTO (renewal)granted.
Inspection thereafter.

	13
	Dr. B.L.Kapur Memorial Hospital, Pusa Road, Delhi  05
	500
	C-108
	Granted
(Valid upto  05.11.11)
	Granted (Valid upto 19.11.11)
	Granted
	Installed
	Installed
	Installed
	1.Adequacy report for ETP submitted on 29.12.09.
2.Unit was inspected on 21.04.10 & :
(i) BMW found satisfactory.
(ii) Isolated storage site provided.
(iii) ETP found operating & Treated Effluent is being used for horticulture  & cooling plant.
	Authorisation Granted.
Ask  the hospital to install Flow Meter at the outlet of ETP.
Surprise Inspection.
	1.Authorisation issued.
2.Unit was inspected on 21.04.10. 
	Letter for installation of flow meter within 15 days.

	14
	Batra Hospital & Medical Research Centre, 1, Tughlakabad Institutional Area,Mehrauli  Badarpur Road, Delhi
	495
	S-005
	Granted
(Valid upto 26.05.12)
	Applied on 25.06.07
	Granted
	Installed
	Installed
	Installed
	1. Hospital was inspected on 27.03.09, and deficiencies were observed &  letter was issued on 20.05.09.
2.As decided in meeting held on 07.09.09 letter issued seeking revised application for CTE & Authorization . Also hospital was inspected  for ascertaining the no of  beds.
3.As decided in meeting held on 25.11.09 Hospital was inspected on 08.02.10 & 
(i) BMW Management found satisfactory.
(ii) ETP: operational
(iii) SWHS: installed.
(iv) RWHS: installed
	Authoristion & CTE Granted.
Letter for Adequacy Report of ETP & for Installation of  Flow Meter.
	1.Authorisation & CTE issued.
2.Reply received on 08.04.10 informing that they have applied for Adequacy Report to GGSIPU & will be submitted soon.
	Letter for adequacy report for ETP within 45 days.

	15
	Society of Unique Hospital & Research Institute ( Multi Super Specialty Hospital & Research Institute)  Sector-19 Dwarka, Delhi.
	400
	NW-414
	…………
	____
	Granted
	__
	____
	___
	1.This ia a case of New Hospital.The unit had applied for CTE on 14.07.06 & CTE has been granted. 
2.ETP (design capacity of 150KLD secondary and tertiary treatment) DG sets- 3 nos of 750 KVA capacity each (with acoustic enclosure) 3nos. oil fired boilers (1500Kg/hours). 
3.Environment Clearance given by MoEF vide letter dated 16.05.07. The unit was asked to file item-wise compliance of the EC conditions during the construction and the general conditions. and to commit on affidavit that it will follow the  conditions in the operation phaseand was Asked for following:(i) Affidavit indicating date of start of construction and completion of construction.(ii) Approved architectural drawing(iii) Completion Certificate.
4.As decided in the meeting on 07.09.09 CTE was issued with the condition that acoustic enclosure shall be provided within a month.
5. As decided in meeting on 25.11.09 Letter seeking complaince report w.r.t. acoustic enclosure for DG Set was  issued.Reply received on 22.01.10 informing that they hire the D.G sets & whenever they will procure D.G sets they will comply with directions.
	Send suitable reply to the unit  for Accoustic Enclosure for  D.G Set.
	Letter issued.
	Inspection

	16
	Maharaja Agrasen Hospital, West Punjabi Bagh, New Delhi- 26
	350
	W-003
	Applied for renewal on 10.03.10 )
	Applied on  11.10.07
	Granted
	Installed
	Installed
	Installed
	1. Previous Authorisation was  Valid upto  31.05.10
2.As decided in the meeting on 01.06.09, letter issued for submitting adequacy report of ETP. Reply received on 13.10.09 informing that ETP has been installed but adequacy report not submitted.
3. As decided in meeting on 25.11.09 Reminder for adequacy report  issued.Reply received on 06.01.10 informing that adequacy report will be submitted on receipt from GGSIPU.
	Authorisation Granted. Let await for Adequacy Report for ETP.
	1.Authorisation was issued.
2.Applied for renewal of Authorisation on 10.03.10.
	Reminder for Adequacy Report of ETP.Authorisatin (renewal) granted.Inspection.

	17
	Holy Family hospital, Okhla Road,Delhi-25.
	298
	S-006
	Granted (valid upto 21.06.10)
	Granted (Valid upto 21.06.10)
	Granted
	Installed
	Installed
	Installed
	1.Copy of cerificates of registration with CGWA submitted
2..Letter  recieved on 09.03.09 regarding phasing out of mercury based thermometer and BP instruments.
3.Show Cause Notice for revocation of authorization was issued. Reply received informing about rectification of deficiences.
6.As decided in meeting held on 25.11.09 unit was inspected on 04.02.10 &  :
(i) STP found in operation.
(ii)SWHS provided.
(iii)RWHS  provided.
                                                                                                        
	CTE  Granted.
	1. CTE issued.
2. Letter issued to apply afresh for  renewal of Authorisation & CTO.
	Authorisation granted. Reminder to apply afresh for  renewal of  CTO.

	18
	Balaji Medical  & Diagnostic Research Centre, 108-A, I.P. Etxn., Patparganj, Delhi-92 
	260
	 
	__
	Applied on 15.10.09
	Applied on 31.03.08
	Installed
	___
	Installed
	1.In response to the letter issued Reply was received informing total plot area 4000sq m, expected built up area 15000-16000sq. m(appox), SWHS will be installed,                                                                            affidavit submitted. 
2. As decided in the meeting on 02.03.09, site of unit was inspected by Dr. T.K Joshi's team. &  building construction for the hospital was going on during the said inspection. 
3. Reply received on 6.07.09 stating that they have seperate plot of land & enclose a copy of letter issued by DDA .     
4. Following decisions were taken in the meeting held on 01.06.09:  Since there is already constructed area in plot no 108-A by the name Max Balaji Hospital, it is found that this additional construction for covered area to 15000 -16000 sqm for Balaji Medical & Diagnostic Research Centre on the same plot will be integral part of Max Balaji Hospital. The total covered area is thus more than 20,000 sqm hence environmental clearnace will be required. Unit be asked to apply for environmental clearance before the SEAC and not to proceed any activity without environmental clearnace. This may be informed to the unit without waiting for the minutes.
5.Letter was issued and reply received requesting for issuance of CTE.
6.File was sent to Dr. Chetna for deciding the requirement of EIA.                                                                                                                                                                                                                                                                                                                                                                                                                                                                                                                                                                                                                                                           
	Wait for SEIAA decision.
	1. Minutes of meeting of SEIAA held on 22.02.2010.Received on 15.03.10. As decided M/s Balaji Medical  & Diagnostic Research Centre, 108-A, I.P. Etxn., Patparganj, Delhi-92  does not fall under EIA.
2.Letter received on 19.04.10 along with flue gas analysis reportof D.G set By GGSIPU.Unit has also informed that SWHS has been installed.
	CTE Granted. Ask for adequacy report for ETP & status of RWHS.

	19
	Jaipur Golden Hospital, 2, Institutional Area , Sec-3, Rohini, Delhi-85
	256
	NW-003
	Applied on 09.06.0 8
	Applied on 08.09.08.
	Applied on 29.10.08
	Installed
	Installed
	Under Process
	1.Show Cause Notice was issued w.r.t ETP installation.Reply received on 03.11.09 asking for extension of time for ETP installation.
2.As decided in meeting held on 25.11.09 a letter was issued for complaince, regarding punitive action / closure action,  if unit does not comply. Three months extention was granted for installation of ETP.     
3.Unit was inspected on 05.05.10 &:
i. BMW management was found satisfactory. 
2. Isolated storage site provided.
3. Record for BMW waste found maintained.
4. Work for ETP was under progress .It was informed that ETP will be completed within 3 months.
5. Construction for additional block near ETP was going on for O.T.                                                                                                         
	Inspection
	Hospital was inspected on 05.05.10 .
	CTE & Authorisation granted for exsiting hospital.Letter seeking application for CTE within 15 days for Construction for additional block & adequacy report for ETP within 3 months.

	20
	Escorts Heart Institute & Research Centre, 
Okhla Road New Delhi-25
	222
	S-007
	Applied on 12.06.09
	Granted (Valid upto 11.06.11)
	Granted
	Installed
	Installed
	Installed
	1..NMR for D.G set submitted on 04.09.08 
2.ETP effluent test report submitted on 25.08.08. Adequacy Report was asked from the hospital.
3.Letter  received on 24.11.08 informing that they have asked Jamia for Adequecy  Report  for STP .
4.Letter received on 17.02.09 informing that mercury based thermometer and BP instrument have been  phased out and this hospital is mercury free.
5. As decided in meeting held on 25.11.09 letter issued to unit to attend hearing on 24.02.10.
6.Unit was inspected on 19.05.10 & :
(i)BMWM found satisfactory.
(ii) ETP found operating.
(iii) Adequacy Report is yet to be submitted. Flow meter are yet to be installed at inlet & outlet of etp.
(iv) Mercury has been phased out
	Unit attended personal hearing on 24.02.10. CTE granted.Ask for Adequacy report for ETP within a month. Inspection.
	Unit was inspected on 19.05.10 .
	Authorisation granted. Reminder for Adequacy Report of ETP & for installation of flow meter.

	21
	Mata Chanan Devi Hospital, C-1, Janak Puri,New Delhi-58 
	210
	W-004
	Granted
(Valid upto 04.05.12)
	 Granted  (Valid upto 03.10.10)
	Applied on 27.10.08
	Under Process
	Under Process
	Under Process
	1.M.S of hospital was called for hearing on 04.09.09.Representative of the Hospital was present during the personal hearing on 04.09.09 ,however it was observed that he was not fully aware / not competent enough to explain the things. 
2. A Show Cause Notice was issued for refusal of authorization under BMW Rules. Reply received on 29.10.09 informing that work of construction of RWHS,ETP and SWHS has been awarded.
3.As decided in meeting held on 25.11.09 Hospital was inspected on 01.02.10 & :
(i) Excavation for ETP was under process.
(ii) SWHS not provided.
(iii) Provision of RWHS not provided.
(iv) Plantation of trees not started.
(v) CFL: done
(vi) BMW Management found satisfactory.
	Authorisation granted.
Letter for deficiences observed during the inspection & for installation of ETP within 3 months.Also seek fresh application for  CTO.
Call for Personal hearing in next meeting.
	Authorisation & letter issued.
	Representative of the Unit attended personal hearing on 15.06.10. CTE Granted. Ask for Adequacy Report of ETP & for status of   RWHS within a month.

	22
	Sri Balaji Action Medical Institute , FC-34, A-4, Paschim Vihar, New Delhi- 63
	200
	W-327
	 Granted (Valid upto 03.10.10)
	Granted (Valid upto 03.10.10)
	Granted
	Installed
	Installed
	Installed
	 Hospital has submittedadequacy report for ETP installed & also informed regarding installation of SWHS, RWHS, CFL ,Plantation.
	CTE granted
	CTE Issued.
	Inspection

	23
	Dharamshila Cancer Hospital & Research Centre, Vasundhra Enclave, Delhi-96
	200
	E-005
	Applied on 08.04.10 ( Previous Valid upto 03.05.10)
	Granted   (Valid upto 03.05.10)
	Granted
	__
	Installed
	Under Process
	1.Earlier Authorisation & CTO valid upto 03.05.10.
2.Hospital has informed regarding  phasing out of mercury based instrutment & installation of SWHS, RWHS, CFL.
23The unit will install ETP & submit adequacy report for the ETP  within three months.
4.As decided in meeting held on 25.11.09 Unit was asked  to comply with earlier decisions.
	CTE granted.
Letter for fresh application for CTO & ask for  the status of ETP. 3 months time given for installation of ETP. 
	1.CTE & Letter issued.
2.Reply received on 31.03.10 informing that they have placed the order for ETP & installation will be completed within 3 months time.
	Reminder for fresh application for CTO.Inspection.

	24
	Devki Devi Foundation ( Max Devki Devi Heart & Vascular Institute ) 2, Press Enclave Road, Saket, New .Delhi -17.
	193
	S-275
	Granted (Valid upto 29.11.10)
	Granted (Valid upto 24.10.10)
	Granted
	Installed
	Installed
	Installed
	1. As decided in the meeting held on 01.06.09 letter issued for submitting adequacy report. Adequacy report sbmitted on 31.08.09.
	No Action 
	 
	No Action

	25
	Sunder Lal Jain Charitable  Hospital, Ashok Vihar, Phase III, Delhi-52
	178
	NW-007
	Applied on 04.12.06
	Applied on 10.01.07
	Granted
	Installed
	Installed
	Installed
	1.Hospital has informed regarding phasing out of Mercury based  thermometers & B.P instruments.
3. Hospital was asked to submit an interim report about the ETP installation by 20.07.2009. Letter issued. Reply received on 13.07.09 stating that ETP will be completed by 31.08.09
5. As decided in meeting held on 25.11.09 Unit was inspected on 01.02.10 & following were observed:
(i) STP: under process.
(ii) SWHS: done
(iii)RWHS: provided. 
(iv) CFL: done
	Ask for fresh application for CTO & Authorisation and status of ETP.
	1.Letter issued.
2. Adequacy report submitted on 04.06.10
	Reminder for fresh application for CTO & Authorisation.

	26
	Tirath Ram Hospital,  2, RBL, Ishwar Das Sawhney Marg, Rajpur Road, New Delhi-54.
	165
	N-003
	Applied on 25.02.10
	Applied on 25.02.10
	Granted
	Installed
	Installed
	Installed
	1. As decided in meeting held on 25.11.09 Reminder for adequacy report for ETP issued. Reply received on 14.01.10 informing that Adequacy Report will be submitted soon.
	Letter for fresh Authorisation & CTO Application.
	1.Letter issued
2.. Letter received on 31.03.10 informing that they have applied for Authorisation & CTO.
	Authorisation Granted. Inspection.

	27
	Rajiv Gandhi Cancer Institute &Research Centre, Sector-VI, Rohini, Delhi-85
	241
	NW-005
	Applied on 01.07.09
	Applied on 13.04.10.
	Granted
	Installed
	__
	Installed
	1.. As decided in the meeting held on 01.06.09 letter was issued to file adequacy report from empanelled consultant of DPCC.Adequacy report submitted on 28.10.09.
3. As decided in meeting held on 25.11.09 Unit was inspected on 28.01.10 and 
(i)BMW Management found satisfactory.
(ii) STP installed however  STP is not operated regularly. 
	Letter for fresh application for CTO & communicate the defeciences observed during the inspection. Also ask for providing RWHS.
	1.Letter issued.
2Applied for renewal of CTO on 13.04.10.
	Authorisation granted. Letter seeking compliance status w.r.t defeciences observed for STP.

	28
	Fortis  Lt. Rajan Dhall Charitable Trust, Secto-B,  Vasant Kunj, Delhi.
	158
	SW-149
	Granted (Valid upto 31.07.10)
	Granted (Valid upto 31.07.10)
	Granted
	Installed
	Installed
	Installed
	1.ETP installed & Adequacy Report    submitted.
	No Action 
	 
	No Action

	29
	Moolchand Hospital, Lajpat Nagar-III , New Delhi-24
	150
	S-008
	Granted (Valid upto 30.08.10)
	Granted (Valid upto 30.08.10)
	Granted
	Installed
	Installed
	Under Process
	1.Hospital has informed  that STP is under process. 
2. As decided in meeting held on 07.09.09 Show Cause Notice issued.Reply received on 09.11.09 informing that STP will be completed in next 5 months.   
3.As decided in meeting held on 25.11.09 unit was inspected on 08.02.10 & 
(i)Construction of STP has not been started.
(ii) SWHS: installed.
(iii) RWHS: installed.                                                                                       
	CTE Granted.
3 months time given for installation of ETP.
	1.CTE & letter issued.
	Letter seeking status of ETP & adequacy Report within a month.

	30
	Shanti Mukund Hospital, 2, Institutional Area, Vikas Marg Extension, Delhi-92
	144
	E-003
	Applied on 07.11.07
	Applied on 09.03.07
	Not Applied
	__
	__
	__
	1. Applied for Authorisation on 07.11.07 & CTO on 09.03.07. CTE not applied.
2.NMR submitted from RITES Limited which is not an approved laboratory from DPCC and results do not indicate Insertion Loss. 
3. As per the general decision taken on 06.05.08, letter issued for instllation of ETP, SWHS, RWHS, Replacement of ordinary bulbs with CFLs, Plantation along the periphery of building.
5. As decided in the meeting held on 02.03.09 unit was asked to apply for CTE. Letter issued.
6..Reply received on 20.10.09 asking for exemption from installation of ETP.
7. As decided in the meeting held on 01.06.09 SCN issued. No reply was received.
8.As decided in meeting held on 07.09.09 Show CauseNotice issued.Reply received on 30.10.09 asking for exemption for installation of ETP.
9. It was decided in meeting on 25.11.09 to launch prosecution since not applied for CTE.File was sent to legal cell & the said decision was reconsidered by the Committee on 24.02.2010 & following  decisions were taken " lettter to DHS for deregistration of the hospital with copy to Ministry of Health for Deregistration from the panel of CGHS. Prosecution is  to be launched after evaluating the status of above action. "
	Lettter to DHS for deregistration of the hospital with copy to Ministry of Health for Deregistration from the panel of CGHS. Prosecution is  to be launched after evaluating the status of above action. 
	1.Letter issued.
2. Letter received from the hospital. 
	Reminder to DHS for de registration. Inspection & thereafter Show Cause Notice for defeciences  observed during the inspection.

	31
	Max Balaji Hospital, 108-A ,  IP Extension, Patparganj, Delhi-92
	134
	E-186
	Granted (Valid upto 17.08.10)
	Applied for renewal on 11.12.09.
(Previous Valid upto
19.11.09.)
	Granted
	Installed
	Installed
	Installed
	1.Previous CTO Valid upto 19.11.09.
2.Reply  received 29.10.08 stating that ETP already installed.
3.Reply recevied on 24.02.09 along with Adcquecy report from GGSIPU.
	No Action 
	Applied for renewal of CTO on 11.12.09.
	CTO (renewal) granted.

	32
	Rockland  Hospital,B-33-34, Qutab Institutional Area, New Delhi-16
	110
	S-276
	Granted (Valid upto 31.07.10)
	Granted (Valid upto 31.07.10)
	Applied on 17.10.08
	Installed
	Installed
	Under Process
	1.Letter was received on 02.06.09 stating that ETP& SWHS will be installed on completion of expansion of new building
2.Unit attended personal hearing on 04.09.09 & following  decisions were taken "The unit will  submit the  present status alongwith time bound programmew.r.tinstallation of ETP & SWHS,within 15 days. Three months time is given for installation of ETP and in case of non compliance Show Cause Notice shall be issued to the unit". 
3. As decided in meeting held on 25.11.09.SCN issued.
. Reply received on19.01.10 informing:
(i) SWHS; installed.
(ii) RWHS:installed.
(iii)CFL: Done
(iv) ETP:under process.
	Repersentatives of the hospital  visited & represnted their case & also requested for extension of time for installation of  ETP .  Issue letter for installation of   ETP within 3 months & unit to send progress report every month. Thereafter the case/request of the unit  shall be considered. Unit to also apply for CTE for additional 60 beds proposed to be constructed.
	1.Letter issued.
2.Reply received on 14.05.10  informing that work of ETP/STP has already been commenced. Two photographs  in regards to work in progress also submiitted alongwith the said letter.
	CTE granted for exsiting hospital. Reminder for CTE for additional 60 beds proposed to be constructed & status of ETP.
Inspection.

	33
	Sant Parmanand Hospital, 18, Civil Lines, Sham Nath MargDelhi-54
	120
	N-004
	Granted (Valid upto 31.07.10)
	Granted
(Valid upto 31.07.10)
	Applied 22.10.08
	Installed
	Installed
	Installed
	1.Adquecy report for ETP  submitted on 07.09.09.
2.Oil & grease chamber provided with rain water harvesting system.
	Letter seeking present status of oil & grease with RWHS. 
	1. Letter received on 19.04.10 informing that they have provided oil & grease chamber with rain water harvesting system.
	CTE Granted

	34
	Indian Spinal Injuries Centre, Sector-C, Vasant Kunj, New Delhi-70
	115
	SW-004
	Granted (Valid upto 14.11.10)
	Granted (Valid upto 28.02.11)
	Granted
	Installed
	Installed
	Installed
	1.Letter received on 01.12.08 stating that responce from CGWA is awaited regarding CGWA Clearance.
2. Adeuacy report submitted on 15.09.09.
3.As decided in the meeting held on 01.06.09 final reminder for adequacy report and permission from DJB for ground water extraction as per new orders was issued. Reply received on 22.07.09 informing they will file required document shortly.
4. As decided in meeting held on 25.11.09 CTE, CTO & Authorization issued. Unit was inspected on 25.01.10 & following were observed:
(i) No flow meter installed at the outlet of ETP.
(ii) BMW found mixed with general waste.
(iii) Sharp boxes not provided at nursing stations.
	Show Cause Notice for Refusal of Authorisation.
	1.SCN issued.
2.Reply received on 09.03.10,  informed that  flow Meter has been installed & defeciences have been rectified.
	Inspection

	35
	Pushpawati Singhania Research Institute, Sheikh Sarai Ph-II , Press Enclave Marg, New Delhi-17
	114
	S-014
	Applied on 02.06.08
	Applied on      16.09.09
	Granted
	Installed
	Installed
	Installed
	1. As decided in meeting held on 25.11.09 unit was inspected on 08.02.10 & 
(i)Construction of STP: under process
(ii) SWHS: installed.
(iii) RWHS: installed.
(iv)BMW Management found satisfactory.
2. ETP installed & Adequacy Report submitted.
	CTE granted. Letter for installation of  ETP within 3 months. 
	1.CTE & Letter isssued.
2.Reply received on 05.05.10 informing that  STP has been installed & commisioned. Adequacy Report from GGSIPU submitted.
	Authorisation & CTO granted.

	36
	Saroj Hospital, 2,  Institutional Area, Sector 14 Extn. Rohini, Delhi -85
	111
	NW-006
	Granted (Valid upto 14.11.10)
	Granted (Valid upto
14.11.10)
	Granted
	Installed
	Installed
	Installed
	1.As decided in meeting held on 07.09.09 letter issued asking  for  adequacy report for ETP.
2.As decided in meeting held on 25.11.09 unit was inspected on 28.01.10:
(i)BMW Management found satisfactory.
(ii) STP was found operating, flow meter was to be installed at outlet & Adequacy report yet to be submitted.
	Letter for adequacy report for ETP & for installation of Flow Meter at outlet of ETP.
	1.Letter issued.
	Reminder for Adequacy Report for  ETP & for installation of Flow Meter at outlet of ETP.

	37
	Vidyasagar Institute of Mental  Health and Nuero Sciences, 1, Institutional Area, Nehru Nagar, New Delhi – 65
	110
	S-011
	Applied on 06.11.07
	Applied on
06.11.08
	Applied on 21.07.08
	Under Process
	Installed
	Under Process
	1.Letter dated 12-06-08.was received along with copies of registrartion for CGWA Certificate and noise monitoring report.  
2.Reply received on 06.10.08 satating that they haveTaken permission from CGWA for 2 bore wells, 
ETP- negotiations are going on.
3.Reply received on 27.05.09 informing that Mercury based instrutments has been phased out.
4. As decided in meeting held on 07.09.09 Show Cause Notice  for refusal of authorization under BMW Rules issued.
5.As decided in meeting held on 25.11.09  Unit was inspected on 04.02.10  & :
(i)SWHS is yet to be installed.
(ii) ETP/STP not installed. 
6.Letter received on 15.02.10 informing that ETP will be installed in next 8 to 12 weeks & SWHS will be installed in next 6 to 10 weeks.
	Letter for installation of ETP & SWHS within 3 months.
	1.Letter issued.
	CTE Granted. Show Cause Notice for ETP etc.

	38
	Brahm Shakti Hospital & Research Centre, U-1/78, Budh Vihar, Rohini, Delhi – 41
	105
	NW-013
	Granted (Valid upto 12.10.11)
	Applied on 
06.02.09 
	Granted
	Installed
	Installed
	Installed
	1.The unit attended  personal hearing on 02.03.09.
2.As decided in meeting held on 25.11.09 Letter seeking present status of ETP & adequacy report issued. Reply received on 07.01.10 informing that civil work of ETP has been completed & mechanical & electrical work will be completed in 3 weeks, they will submit the adequacy report  on getting it.
	Authorisation & CTE granted.
Letter seeking adequacy report for ETP by 31.03.2010.
	1. Authorisation, CTE & Letter issued.
2.Reply received on 31.03.10 informing that ETP has been installed &it  is yet to achieve results as anaerobic & aerobic biological culture is yet not formed. Hospital has requested to give reasonable time to stablise ETP & to  submitt Adequacy Report.
	Inspection

	39
	R.L.K.C  Hospital ( A Unit of Dr. R.L.Khera Charitable Trust )   Pandav nagar, near . Shadipur Depot, Delhi 08
	104
	W-341
	Granted
(Valid upto 23.01.12)
	Applied on 04.02.10
	Granted
	Not Installed
	Installed
	Installed
	1. NMR for DG Set submitted on 21.05.08
2. Letter received on 24.11.08, informing that patel nagar area does not fall in notified areas & CGWA permission is not necessary.
3.Letter  received on 03.07.09 regarding ETP-under process, Mercury based instrutment are being phased our in gradully manner.
4.Unit was inspected on 12.11.09 & 
(i)ETP was under construction.(ii)SWHS was not installed.(iii) BMW and sharp waste management was not found as per rules.(iv) Sharp boxes not provided.
5. As decided in meeting held on 25.11.09 letter for defeciences issued. Reply received on 07.01.10 informing about rectification of defeciences had been done.
6. ETP Installed & Adequacy Report awaited. 
	Authorisation & CTE granted.
Letter seeking status of ETP &  adequacy report .
	1.Letter issued.
2.Reply received on 27.03.10 informing that they have submitted required fee for Adequacy Report to GGSIPU & will be submitted soon.
	Reminder for Adequacy Report of ETP & status of SWHS.

	40
	Max Super Specialty Hospital, 1,Press Enclave Road,Saket, New Delhi-17 
	104
	S-266
	Granted (Valid upto 30.08.10)
	Granted (Valid upto 30.08.10)
	Granted
	Installed
	Installed
	Installed
	1.As decided in the meeting held on 01.06.09 letter was issued to the unit to install flow measuring device  with STP as advised in the adequacy report. Reply received on 07.07.09 informing that they have installated flow meter with STP. 
2.As decided in meeting held on 07.09.09 File sent to Dr.Chetna for deciding the requirement of EIA. 
3. SEIAA has taken up the matter in its meeting & it was decided that EIA/EC is not required in this case.
	CTE granted.
	CTE Issued.
	No Action

	41
	Jeewan Mala Hospital(P)Ltd., 67/1, New Rohtak Road.New Delhi -05
	104
	C-012
	Granted (Valid upto 03.10.10)
	Granted (Valid upto 03.10.10)
	Granted
	Installed
	Installed
	Installed
	1. As decided in meeting held on 25.11.09 SCN  issued.Reply  received on 26.12.09 informing about  rectification of deficiences & also submitted copy of letter to DJB, regarding borewell registration. Letters received on 18.01.10 informing that SWHS, RWHS are fully functional & ETP has already been installed. & also submitted point wise reply for SCN.
2. Hospital  was inspected on  13.05.10 & 
(i) BMW Management found satisfactory.
(ii) Color coded bags found in use.
(iii)  SWHS,RWHS installed.
(iv) ETP found installed & operating.No flow meterinstalled  & adequacy report not submitted.
As informed Treated Water goes to drain & will be used  in MCD park adjacent to the hospital.
	CTE granted.
Inspection.
	1.CTE issued.
2 .Hospital was inspected on  13.05.10. 
	Letter for installation of flow meter & submission of adequacy report for ETP.

	42
	Kukreja Hospital & Heart Centre, C-1, Vishal Enclave, New Delhi-27
	103
	W-018
	Granted (Valid upto 26.11.10)
	Granted (Valid upto 02.09.10)
	Granted
	Installed
	Installed
	Installed
	ETP Installed & Adequacy Report submitted.
	CTO & Authorisation granted.
	CTO & Authorisation issued.
	No Action

	43
	City Hospital,B-1/1, N.E.A. Pusa Road, New Delhi-60
	102
	C-101
	Granted (Valid upto 25.05.11)
	Applied on 22.12.06
	Granted
	Installed
	Installed
	Installed
	1.Hospital has informed that Mercury based instrutment has been phased out.
2. ETP Installed & Adequacy Report submitted.
	Authorisation granted.
Letter seeking fresh application for CTO.
	1.Authorisation & Letter issued.
	Reminder for fresh application of CTO.

	44
	Bensups Hospital, Near K.M. Chowk, Sector-12, Dwarka, Delhi - 75 (B.R.Dhawan Charitable Trust)
	100
	SW-147
	Applied on 17.02.10
	Applied on 31.08.09
	Granted
	Installed
	Installed
	Installed
	1.Hospital informed that they are phasing out of mercury based thermometer and BP Instrument.
2.Letter was received on 16.07.09 informing that the CTE was applied in the name of M/s BR Dhawan Memorial Charitable Trust due to clearical mistake & M/s Bensups Hospital is the unit of M/s BR Dhawan Memorial Charitable Trust.
3.As decided in meeting held on 25.11.09 Unit was inspected on 11.02.10 &: 
(i) Sharp Boxes not provided.
(ii)Bio Hazard Symbol not observed on bins.
(iii)Proper record keeping for BMW is to be done.
(iv) ETP installed however not for all the waste water generated from the hospital. ETP condition indicates that there is no bilogical growth/bacteria in Aeration Tank.
(v) Flow Meter at outlet not provided.   
4.Unit was inspected on 03.05.10 & following were the observations:
(i) Seggregation was found satisfactory.
(ii) Isolated storage site was observed.
(iii) Bio Hazard symbols were observed on containers.
(iv) Sharp boxes found in use.
	Inspection to check the rectification of deficiencies.
	Unit was inspected on 03.05.10.
	Shift to BMW Committee No. 2. 

	45
	Delhi Heart and Lung Institute, 3-M.M II ,Panchkuian Road,Delhi-55
	100
	C-089
	Applied on 04.09.06
	Applied on 15.05.08.
	Granted
	Installed
	Installed
	Installed
	1. Letter dated 04.10.08 received alongwith NMR meeting the insertion loss. 
2.Hospital informed that Mercury based instruments has been phased out.
3.ETP installed & Adequacy Report submitted.
4.As decided in meeting held on 25.11.09 Letter for fresh authorizatiion application issued  Asking the unit to treat the effluent using biological process and for installation of flow meter.
	Reminder for fresh application for Authorisation.
	Letter issued.
	Show Cause Notice 

	46
	MGS Hospital, West Punjabi Bagh , Rohtak Road, New Delhi,-26
	100
	W-008
	Granted
(Valid upto 20.01.11)
	 Granted
(Valid upto 07.02.11)
	Granted
	Installed
	Installed
	Installed
	1.As decided in the meeting held on 01.06.09 letter issued for  adequacy report and permission from DJB for ground water extraction as per new orders.Adequacy report for ETP submitted on 02.09.09. 
2.A letter followed by reminder was issued  to GGSIPU regarding their comments w.r.t Haz. Waste in the Adequacy report.A Reply from GGSIPU received. As decided, Hospital was inspected on 22.04.10 & 
1.BMW Management found staisfactory.
2.Though containers were provided for Sharp waste however Sharp boxes were yet to be provided.
3. ETP found operational however flow meter was not installed at outlet of ETP.
4. Adequate stack height was not provided for 250 KVA D.G set.
5. There is scope for plantation.
6. ETP is based on biological process. There is less scope for utilisation of treated effluent since not having cooling towers/A.C plant.
	Inspection 
	Hospital was inspected on 22.04.10. 
	Letter for defeciences observed during inspection.

	47
	Kalra Hospital, A- 5 & 6, Kirti Nagar, New Delhi-15
	100
	W-012
	Applied on 04.06.07
	Not applied for renewal.
	Granted
	Installed
	Installed
	Installed
	1.CTO expired on 14.09.09 & earlier authorisation application was submitted on 04.06.07.
2.Hospital informed that Mercury has been phased out completely.
3. As decided in meeting held on 07.09.09 CTE & letter regarding adequacy report issued.Adequacy report not submittted water anaysis report submitted on 04.11.09 from Quality Lab which is not approved  lab.
4.As decided in meeting held on 25.11.09 Suitable reply issued clarifying  the things.Letter issued.
	Letter seeking  application for CTO &  adequacy report for ETP.
	1.Letter issued seeking  application for CTO, Authorisation &  adequacy report for ETP.
2. Adequacy report submitted on 14.06.2010.
	1.Reminder seeking  application for CTO & Authorisation. 

	48
	Park Hospital, 12, Meera Enclave (Chowkhandi) Near Keshavpur Depot, Outer Ring Road, New Delhi-18
	100
	W-326
	Granted (Valid upto 23.07.10)
	Granted
(Valid upto 24.07.10)
	Granted (CTE for existing 100 beds granted). Applied for CTE for additional 70 beds.
	Installed
	Installed
	Installed
	1.Applied for CTE for additional 70 beds.
2.Hospital informed that they are phasing out of use of Mercury.
3.As decided in meeting held on 07.09.09 CTE, CTO & Authorisation issued to unit  and Letter to DJB Issued. .Reply from unit dated 10.11.09 received submitting the RWHS certificate.
4.As decided in meeting held on 25.11,09 letter issued Seeking confirmation  regarding installation of RWHS.
Reply received on 27.01.10 informing that RWHS has been installed.
	No Action 
	CTE applied for additional 70 beds.
	CTE granted.

	49
	Primus Ortho & Spine Hospital ( of Delhi Hospital Society ),  2, Chandergupt Marg, Chankayapuri, New Delhi-21
	100
	ND-024
	Applied on 10.12.07
	Applied on 03.12..07  
	Granted
	Installed
	Installed
	Installed
	1.As decided in the meeting held on 01.06.09 letter issued  to file interim report.Reply recieved on 06.07.09 stating that ETP is under construction.
2.As decided in meeting held on 08.09.09 Letter for adequacy report issued. Reply received on 05.11.09 informing that ETP will be completed in 4 weeks and 2 more weeks will be required to make it operational. 
	Reminder letter seeking adequacy report of ETP.
	1.Letter issued.
2. Reply received on 21.04.10 informing that they have submiited fee for Adequacy Report to GGGSIPU & Report will be submitted soon.
3. Letter received on 14.05.10 alongwith copy of ETP completion report.
4. Adequacy Report yet to be submitted.
	Call for Personal Hearing in next meeting.

	50
	G.M.Modi Hospital and Research Centre for Medical Science, Mandir Marg, Saket , New Delhi -17
	100
	S-010
	Granted (Valid upto 
03.10.10)
	Granted (Valid upto 03.10.10) 
	Applied on 04.09.08
	Installed
	Installed
	Installed
	1.Hospital informed that  Mercury based instruments have been phase out.
2.As decided in meeting held on 25.11.09 Reminder for adequacy report of ETP issued.Reply received 0n 07.12.09 asking for 2 month time for submission of Adequacy Report.
3As decided in meeting held on 25.11.09 .Reminder for adequacy report of ETP issued. Reply received 0n 07.12.09 asking for 2 month time for submission of Adequacy Report.
	Reminder letter seeking adequacy report of ETP.
	1.Letter issued.
2.Adequacy Report from GGSIPU  received on 01.04.10.
	CTE Granted. Inspection thereafter.

	51
	Jeewan Nursing Home & Hospital, 2-B, Pusa Road, New Delhi-05
	100
	C-016
	Granted (Valid upto 08.10.12)
	Granted (Valid upto 28.07.10)
	Granted
	Installed
	Installed
	Installed
	1.ETP installed &.Adequacy reprt submitted on 03.01.10.
2.Unit were inspected on 11.02.10 & following was observed:
(i)BMW management  found satisfactory.
(ii) ETP provided & found operational.
	CTE, CTO & Authorisation granted.
	CTE, CTO & Authorisation issued.
	No Action

	52
	Max  Hospital ( A unit of Max Health Care Institute Ltd.) HB Twin Towers, A 2,3,&4, Netaji Subash Place, Wazirpur, Distt. Centre, Delhi-34
	92
	NW-017
	Granted (Valid upto 28.12.12)
	Granted
(Valid upto 16.01.11) 
	Granted
	Installed
	Installed
	Installed
	1.Letter  received on 29.05.09 stating that mercury based instruments have been phased out.
2.ETP installed &.Adequacy Report submitted on 20.01.09.
3. Letter  recieved on 22.07.09 stating that they do not require CGWA clearance & submitted copy of orders from goverment of NCT Delhi.
4.As decided in the meeting held on 01.06.09 letter issued to the unit to file permission from DJB for ground water extraction as per new orders. Hospital was inspected on 18.08.09 &  BMW Management  was found satisfactory & ETP found operational. 
	Authorisation (Renewal )granted.
	Authorisation issued.
	No Action

	53
	Indian Hospital;AG-35 Shalimar Bagh, Delhi-88
	117
	NW-419
	Applied on 19.02.10
	Applied on 22.02.10
	Applied on 24.06.09
	Not Installed
	Not Installed
	Not Installed
	1.Hospital was inspected on 19.06.09 & deficiencies observed were:
(i)No segregation of BMW was there
(ii)No proper color coding was there
(iii)Staff was unaware about  BMW rules, 
(iv) RWHS, SWHS & ETP not installed.
2. As decided in the meeting on 08.09.09 Show Cause Notice  u/s 5 of EPA was issued on 11.01.10 .
3.As decided in meeting held n 30.11.09 Show Cause Notice u/s 5 of EPA issued.
4.Letter issued to DHS for de registration of the hospital.
5.Reply received on 03.02.10 from DHS informing that Show Cause Notice has been issued  to the unit for cancellation of provisional registration .
6.Reply received on 15.02.10 from hospital informing that they will soon comply with the norms & applied for Authorisation on 19.02.10 & CTO on 22.02.10.
	Inspection .
	1. Letter from DHS received on 04.03.10.
2. Hospital could not be inspected  as the hospital staff at reception  informed that the owner has been contacted on phone & he has refused to get the hospital inspected on 13.05.10
	Letter to DHS for de-registration of the hospital. Show Cause Notice  for refusal of authorisation & Consent.

	54
	National Heart Institute, 49- 50, Community Centre, East of Kailash, New Delhi-65
	80
	S-069
	Applied on 14.05.10
	Not Applied
	Granted
	Installed
	Not Installed
	Not Installed
	1. CGWA certificate submitted.
2. Letter received on 04.03.09 informed regrding phasing out of Mercury Based thermometer and BP instrument.Also enclosed NMR for D.G Set and regarding quotation for ETP & STP. 
3.As decided in meeting on 25.11.09. Hospital  was inspected on 04.02.10 &following were observed:
(i)ETP/STP was not installed.
(ii)RWHS not provided.
(iii) Bio Hazard symbol at storage site not provided.
	CTE granted. Letter seeking applications  for CTO & Authorization and also for correction of the deficiencies observed during the inspection. Unit to install ETP & RWHS within two months.
	1. CTE & letter issued.
2.Reply received on 05.04.10  informed that deficiencis have been rectified.
3.Reply received on 04.06.10 informing that STP will be completed by 31.07.10.
	Reminder seeking application for CTO & for compliance report w.r.t 5 points by 31.07.2010.

	55
	Jessa Ram Hospital (A unit of R.B.Seth Jessa Ram & Bros Charitable Hospital)  WEA Karol Bagh,New Delhi -05
	79
	C-008
	Applied on 12.03.07
	Applied on 30.10.07
	Granted
	Installed
	Under Process
	Under Process
	1. 3 years expired since application for  Authorisation was submitted
2. As decided in the meeting on 27.04.09 letter was issud on 20.5.09 asking the hospital to send Full Compliance of earlier Decisions. 
3As decided in the meeting held on 02.03.09 hospital asked to install ETP, SWHS, RWHS, CFL &Plantation.
4. Unit attended personal hearing on 04.09.09. As decided hospital  will submit the present status alongwith compliance status on the 5 points ,within 15 days. ETP & RWHS , was to be installed and adequacy report for the ETP was to be submitted within 3 months. 
	Letter seeking fresh application for  Authorization ,for  adequacy report of ETP & for status of RWHS.
	1.Letter issued.
2.Reply received on 23.03.10 informing that ETP will be installed within 1st or 2nd week of next month.
	Reminder seeking fresh application for Authorisation & also for for  adequacy report of ETP & for status of RWHS.

	56
	Sitaram Bhartia Institute of Science & Research, B-16, Qutub Institutional Area, New Delhi – 16
	71
	S-015
	Applied for renewal on 21.05.10.
	Applied on 11.10.07  
	Granted
	Installed
	Installed
	Installed
	1. Earlier issued Authorisation wasValid upto 05.05.10.
2.Letter received on 5.5.09 regarding  phasing out of mercury based equipments.
3.Hospital was inspected on 11.08.09 and following deficiencies were observed :-Sharp waste management was not proper, Isolated storage site for BMW was not provided,Labelling was not observed, Lack of training aweranes among the staff, BMW record keeping needs improvement.   
4.As decided in meeting on 08.09.09 Show Cause Notice was  issued.Reply received on 06.1.09 &  informed regarding rectification of deficiencies. 
5.As decided in meeting  on 25.11.09. Hospital was inspected on 25.01.10, BMW management found satisfactory & it was observed that ETP is based on physio chemical process.
	Letter for Bio-logical treatment process for ETP, Physico chemical treatment to be stopped.Unit to submit adequacy report for ETP within 2 months.
	1.Ltter issued.
2.Applied for renewal of Authorisation on 21.05.10.
	Authorisation(renewal) granted. Letter seeking adequacy report for ETP.

	57
	Jivodaya Hospital, Ashok Vihar, Phase-1, Delhi-52
	65
	NW-014
	Granted (Valid upto 19.03.11)
	Granted (Valid upto 03.02.11)
	Granted
	Installed
	Installed
	Not Installed
	1Letter received on 28.01.09 stating that SWHS have been installed and Mercury based instruments will be phased out in due course of time. 
2.ETP not installed.
	 Case to be taken up in next meeting
	 
	Inspection regarding ETP etc.

	58
	Altius Sonia Hospital, 1, Gulshan Park Main Rohtak Road, Nangloi, Delhi- 41
	45
	W-376
	Applied on 24.10.08
	Not Applied
	Not Applied
	Installed
	__
	__
	1. Applied for fresh Authorization under BMW rules on 24.10.08 in the name of Altius Sonia Hospital.        
2.Letter  received on 12.5.09  stating that unit is having 45beds hence should be exempted from applying for CTE & CTO.
3.Letter received on 18.05.09 submitted an affidavit for having 45 beds.
4.As decided in the meeting on 01.06.09 letter issued  to submit copy of registration from DHS.
5. As decided in the meeting on 08.09.09 Hospital was inspected on13.11.09 & 
(i) sharp waste management found not proper.
(ii) It was informed that presently hospital is having 65 beds however 45 
beds are in use & hospital has applied for registratation to DHS for 45 beds. 
6.As decided in meeting on 25.11.09 Letter seeking CTE , CTO and for correction of deficiencies issued unit was also  Asked  to comply w.r.t.  5 points including installation of ETP. Reply received on 04.02.10 informing that rectification of deficiencies had been done & they are having only 45 beds.
7.Hospital was inspected on 22.04.10 & following were the observations:
(i) Hospital is having 45 beds.
(ii) Hospital had applied for registration of  45 beds  to DHS.
(iii) BMWM found satisfactory.
	Inspection &  also ask for copy of application submitted by the Hospital to DHS for registration.
	1. Hospital was inspected on 22.04.10
2.Letter received on 03/05/09 informing that their hospital's name is Sonia hospital & it is only 45 bedded hospital.
	Shift to BMW Committee No. 2. 

	59
	Deepak Memorial Hospital, 5, Institutional Area,  Vikas Marg Extn. 2 , Delhi-92
	100
	E-006
	Applied on 15.02.10
	Applied on 29.05.08
	Granted
	Installed
	____
	___
	1.Letter received on 10.06.09 along with an affidavit for covered area & regarding phasing out of mercury based thermameters etc.
2. Letter received on 10.07.09 alongwith affidavit for built up area for new construction. Informed that Mercury based instrutments are phased out.
3. Letter received on 28.10.09 regarding built up area .
4.As decided in the meeting on 08.09.09,  letter was issued to submit proposed & existing built up area alongwith drawing approved by MCD & also asking to apply for CTE for revised/ proposed Establishments issued.  
5.Reply received on 28.10.09 informing that tentative covered area of proposed hospital building will be 13789.95 sq.m & Existing hospital built up area on ground floor is 1042.38 sq.m and total existing covered area of hospital building are 1042.38 sq.m.
6.As decided in meeting on 25.11.09 letter issued Asking  for CTE for proposed hospital and an affidavit regarding built up area. 
7.Hospital was  inspected on 03.05.10 &
1. Bio Hazard symbol were not observed on the container.
2. Poster were not provided for public awarness.
3.Sharp Box Container not provided at the site.
	CTE granted  for the existing hospital for which application was received. Reminder seeking  application for CTE for additional / new construction proposed. Inspection.
	1.Letter & CTEissued.
2. Reply received on 13.04.10 informing that they will apply for CTE as soon as they receiv approval from MCD for new building. Hospital also informed that ETP will be  installed in new building.
2.Hospital was  inspected on 03.05.10 .
	Letter for rectification of defeciences observed during inspection & for application for CTE for new building.

	60
	Nazar Kanwar Surana Hospital(A Unit of Bram Health Care (P) LTD), 219/220, N.K. Surana Marg, Gulabi Bagh, Delhi - 07
	60
	N-095
	Applied on 08.04.10
	Applied on 
05.09.08
	Applied on 05.09.08
	Not Installed
	Not Installed
	Not Installed
	1.Unit was called for personal hearing on 27.04.09 &Letter was  Issued for ETP etc.
2.Reply recieved on 02.06.09 stating that they need time of 2 months for installation of SWHS,RWHS,ETP & CFL
3.As decided in meeting held on 08.09.09 Show Cause Notice for refusal of CTE & CTO issued.
4.As decided in meeting on 25.11.09 Show Cause Notice  u/s 5 of EPA was issued. Letter to DHS for de registration of the hospital issued.Reply received on 04.02.10 from DHS informing that Show Cause Notice has been issued  to the hospital for cancellation of provisional registration .
	Letter seeking fresh application for Authorization and for interim progress report & for expected date of completion of the work.
	1.Letter issued.
2. Applied for Authorisation on 08.04.10.
	Application for Consent & Authorisation  become infructous since DHS has cancelled the registration of the hospital vide letter dated 08.03.10. Issue letter to the unit in this regard.

	61
	Venu Eye Institute & Research Centre, 1/31, Institutional Area, Phase – 2 ,  Sheikh Sarai, New Delhi-17
	60
	S-017
	Applied on 03.03.10
	Not applied for renewal.
	Granted
	__
	__
	Exempted by BMW Committee No.1.
	1. Applied  afresh for Authorisation on 03.03.10,Earlier granted CTO expired on  15.03.10. 
2.Noise monitoring report for D.G set submittd on 03.10.08
3. As decided in meeting  on 02.03.09 hospital was ask edto file CGWA clearance & Letter was Issued
4.As decided in the meeting on 08.09.09, CTE & CTO issued to the hospital & letter to DJB for withdrawl of ground water. 
5.As decided in meeting on 30.11.09 letter issued asking for fresh authorization application & applied afresh for authorisation.
	Reminder for application for Authorization.
	1.Letter issued.
2. Applied for renewal of Authorisation on 03.03.10.
	Letter seeking fresh application for CTO & also for status of RWHS, SWHS, CFL & plantation.

	62
	Jeewan Hospital & Nursing Home Pvt. Ltd., Gate No.1  Jeewan Nagar, New Delhi-14
	60
	S-016
	 Applied on 04.01.08
	Applied on 04.01.08
	Granted
	Under Process
	Under Process
	Under Process
	1. As decided in meeting on 08.09.09 Reminder Letter issued regarding compliance on 5 points.
2.Reply received on 19.04.10 informing that  ETP will be installed within 3 months & SWHS, RWHS, replacement with CFL will be done in 3 months in phase wise manner. Hospital has also informed that they will improve the plantation. 
	Unit attended personal hearing on 24.02.10. Ask for installation of ETP, SWHS, RWHS, CFL & for Plantation. 
	1. Letter issued.
2.Reply received on 19.04.10 .
	Letter giving time to install ETP, SWHS, RWHS, CFL & for Plantation by july 2010.

	63
	Red Cross Maternity & Child care Hospital,  New Seemapuri, Delhi-95
	57
	NE-006
	Applied on 09.04.07
	Applied on 03.1.08
	Granted
	Not Installed
	Not Installed
	Not Installed
	1.3 yrs expired since applied for authorisation on 09.04.07.
2.NMR for D.G Set submitted on 02.01.09
3.Letter recived on 22.05.09 stating that they have started phasing out of mercury based thermometers & the total waste water generation is 7-8 kl so they donot require  ETP.
4.It was decided in the meeting on 02.03.09 that unit be asked to install ETP.Letter was issued followed by  reminder regarding ETP installation.             
5.As decided in meeting on 25.11.09 hospital was called for personal hearing on 24.02.10.                                                               
	Unit attended personal hearing on 24.02.10. Ask for installation of ETP, SWHS, RWHS, CFL & for Plantation. 
	Letter issued.
	Inspection regarding ETP etc.


Granted


Applied on 


1. Hospital has informed that murcury based thermometers and BP instruments has been phase out.

2.As decided in meeting on 08.09.09.Letter issued asking to apply  afresh for authorization & also to submit status of RWHS.


1.Authorisation issued.

	2.Applied for CTO on 09.04.10.
	Letter seeking status of RWHS.

	65
	Metro Hospital & Cancer Institute ( Earlier Anand Hospital,) 21, Community Centre, Preet Vihar, Delhi-92
	52
	E-007
	Applied on 28.05.10
	Not Applied
	Granted
	__
	__
	__
	1.Letter received on 03.01.09 stating that they are in the process of buying an ETP  for the hospital, phasing out mercuy based instrument have been initiated
2. As decided in the meeting  on 02.03.09 letter issued on 08.04.09 for full compliance of earlier decision.
3. As decided in the meeting on 01.06.09 hospital was called for personal hearing on 04.09.09.
4.As decided in meeting on 25.11.09 another Letter issued for personal hearing as Representative of the hospital who attended personal hearing on 25.11.09  he was not aware about the issues involved / not the concerned person dealing with the matter. M.S. of the hospital was called for personal hearing in the next meeting on 24.02.10
	No one from the hospital attended personal hearing on 24.02.10. Issue Show Cause Notice for revocation of the athorization.
	1. SCN Isuued.
2.Reply received on 13.04.10 informing that they have attended the hearing on 25.02.10 & matter is being taken up as top most priority.
	Show Cause Notice.Inspection.

	66
	Shree Jeewan Hospital, 67/1, New Rohtak Road, Delhi -05
	52 nos.
	W-024
	Granted (Valid upto  02.03.11)
	Granted (Valid upto 02.03.11) 
	Granted
	Not Installed
	Not Installed
	Not Installed
	1.Personal hearing was given to hospital on 30.10.08 & It  was decided that unit to file CGWA clearnace within 1 month and  ETP is not required. 
2.Reply recieved on 07.01.09 submitted CGWA Clearance / certificate of registration from CGWA. 
3.Reply received dated 16.5.09 regarding phasing out of mercury in  B.P.instruments.
4. As decided in meeting  on 08.09.09, CTO  was issued and lettter to DJB issued.
5.As decided in meeting on 25.11.09 Reminder to DJB issued.
	Letter for  installation of ETP, SWHS,RWHS,CFL & for Plantation within 3 months.
	1.Letter issued.
	Show Cause Notice for  ETP etc.

	67
	Jeevan Anmol Hospital, Mayur Vihar Phase-I , Delhi-91
	51
	E-015
	Applied on 15.01.09
	Applied on 19.11.07
	Granted
	Installed
	Under Process
	Under Process
	1. The unit attended personal hearing on 01.06.09. The unit was asked earlier to install the Rain Water Harvesting System and ETP by 31.12.2008. Hospital was asked to get the bore-well permission from DJB. Dr. Joshi’s team to visit and found out the exact status of the unit.Letterissued and Unit was inspected on 11.08.09 & deficiencies were observed.
2.As decided in meeting  on 08.09.09, Show Cause Noticeissued. Reply received on 26.10.09 informing that rectification of deficiencies has been done.
3. As decided in meeting on 25.11.09 Hospital was again inspected on 20.01.10 & following were observed:
(i)Bio Hazard Symbol not provided/displayed.
(ii)Regarding 5 points:
ETP: Matter under process.
RWHS:Matter under process.
SWHS:Installed
CFL: Installed
Plantation:Done
	Letter for rectification of deficiencies observed during the inspection & seek interim report.
	1. Letter issued.
2.Reply received on  29.03.10 informing that they have awarded work for installation of ETP but the execution work was stopped due to death in family.
	Inspection

	68
	Bhatia Global Hospital  307-308, Ambica Vihar, New Delhi-87
	50
	W-007
	Applied on 22.01.08
	Not applied.
	Granted
	No Information.
	No Information
	Installed
	1.Form dated 12.06.08 received by post but fee not submitted
2.Adquecy report not submitted.
3.As decided in meeting on 08.09.09 CTE issued. Letter was issued to apply for CTO & unit to submit Adequacy Report for ETP & Noise Monitoring Report for DG Set.
4.As decided in meeting held on 25.11.09 Final reminder for CTO, NMR and adequacy report of ETP issued.
	Call for personal hearing
	Letter issued.
	Representative of the hospital attended personal hearing on 15.06.10 however was not aware of the matter/issues related to BMW. Call Director of the hospital for personal hearing in next meeting.

	69
	Mai Kamliwali Hospital, J-block, Community Centre, Rajouri Garden, New Delhi-27
	50
	W-022
	 Applied on 24.09.07
	Applied on 
22.02.10
	Applied on 29.09.08
	Installed
	Installed
	Installed
	1.Unit attended personal hearing on 04.09.09.
2. Hospital was inspected on13.11.09 and :
(i)BMW management was not proper. (ii)Adequate stack height was not provided to D.G set.
(iii) Hospital has covered all the allotted land to it & there is no kuttcha portion available.
3. Show Cause Notice u/s 5 of EPA was issued mentioning deficiencies   Letter to DHS was issued  for de registration of the hospital.
4.Reply received on 02.02.10 informing that SWHS is functional & RWHS   has been completed, NMR for DG Set from DPCC lab submitted on 08.02.10.
5. Reply received on 01.02.10 from DHS.
6 ETP Installed.
7.Hospital was inspected on 22.04.10 & following were the observations:
1.BMWM found satisfactory.
2.Adequate stack height with D.G sets provided.
3. ETP found operating.
4. Hospital  is having registration from DHS for 45 beds. 
	Letter for  ETP mentioning the decision of DPCC.           Inspection.
	1.Letter issued.
2 Reply received on 30.04.10.
3.Hospital was inspected on 22.04.10.
4. Adequacy Report from GGSIPU submitted on 21.05.10.
	Authorisation, CTO & CTE granted. 

	70
	Wockhart Hospital Plot No. H-4, H-5, at road no. 43, Pitampura,Delhi-34.
	200
	NW-435
	______
	______
	Granted
	__
	___
	____
	1. This is a new hospital & as per the CTE application built up area is less than 20,000 sq.meter.
3. ETP proposed for treatment of effluent.
4. BMW Treatment & Disposal will be done through CBWTF.
	Consent to Establish under the Air & Water Acts granted .
	CTE Issued.
	No Action

	71
	Jeewan Hospital & Nursing HomeGate No.2,Jeewan Nagar, Opp.Maharani Bagh, New Delhi 110014
	50
	S-022
	Granted
(Valid upto 13.01.11)
	Granted
(valid upto 03.11.11)
	Granted
	Under Process
	Under Process
	Under Process
	1.Authorization valid till 13.01.11,CTO valid till 03.11.11& CTE issued on 24.03.09.
2.Reply received on 13.01.09 regarding SWHS is already installed.
3.Reply received on 27.02.09 stating that mercury based instrutments have been phased out.
4.As decided in the meeting held on 08.09.09 authorisation issued.  
	Letter for  installation of ETP, ,RWHS,CFL & for Plantation within 3 months.
	1.Letter issued.
2. Reply received on 06.04.10 informing that they have started the process of implementing the guide lines,
	Letter seeking compliance w.r.t ETP by july 2010. 

	72
	 Max Health Care, Shalimar Bagh, Delhi-88
	 
	NW-406
	___
	______
	Granted
	____
	_____
	____
	1.This is a case of Hospital with Built Up Area more than 20000 sq. mts.
2.EC was granted by SEIAA vide letter dated 28.08.09. 
3. As decided in meeting held on 08.09.09, CTE issued.
	No Action 
	 
	No Action

	73
	Action Cancer Hospital (A unit of Manav Sevarth Trust) FC-34, A-4, Paschim Vihar.
	150
	W-408
	Applied on 23.03.10
	 
	Granted
	____
	____
	___
	1. This is a case of new cancer hospital, applied for CTE on 20.01.10 & it is adajecent to existing Sri Balaji Action Medical institute at same address.
2. Having less than 20,000 sq. meter built up area.
3.ETP proposed for treatment of Effluent.
4. Treatment & Disposal of BMW through CBWTF.
5. Letter received on 16.02.10 informing:
(i)CFL;done
(ii) Plantation :done
(iii) SWHS: under process.
(iv) RWHS:under process.
	Consent to Establish under the Air & Water Acts granted .
	1.CTE Issued.
2. Applied for Authorisation on 23.03.10.
	Inspection

	74
	Shri Ram Singh Memorial Hospital, B-26, East Krishna Nagar, New Delhi-51. 
	100
	E-011
	Applied on 03.03.10
	Applied on 23.07.09
	Applied on 23.07.09
	__
	__
	___
	This is case of hospital which was earlier having 27 beds & was in Committee No. 2. Now the hospital has applied for authorisation for 100 beds under BMW Rules. 
	 
	 
	CTE Granted. Letter for  installation of ETP, ,RWHS,CFL & for Plantation within 3 months.


ANNEXURE 2
	Sl No.
	Name and Address of HCU
	Distt. No.
	Bed (No.)
	Authorization Status
	CTO Status 
	CTE Status 
	Status on 5 Points 
	Brief Status
	Decisions taken in the meeting on 02.03.10
	ATR/ Status
	Decisions taken in the meeting on 15.06.10

	1.
	Lok Nayak Hospital, 
J. L. Nehru Marg, New Delhi-2
	C-001
	1649


	Applied for renewal on 17.02.10
	Applied on 03.03.08
	Not Applied.


	ETP-installed (found not operating) 
SWHS-under process

RWHS-under process

CFL-done

Plantation-done
	1. Earlier Authorization expired on 18.02.10. Applied for renewal of Authorization on 17.02.10.

As per the decision on 02.03.09, D.O. Letters issued on 23.03.09 and 14.05.09 to MS of Hospital with a copy to PS to Minister for Health, Delhi and Pr. Secy. (Health) GNCT Delhi, for rectification of the deficiencies observed during the inspection on 10.02.09, asked the unit to submit fresh monitoring report for incinerator, file compliance report on the five points mentioned in our earlier letters and submit Adequacy Report for ETP along with application for CTE . 

2. A complaint was received on 28.04.09 against the hospital regarding not managing BMW as per rules.

3. A news item was published in the Times of India on 06.04.09 regarding the inspection of this Hospital including other four hospitals of Delhi Government by the Health Minister of Govt. of NCT of Delhi and her observations regarding improper management of BMW particularly Sharp Waste Management.

4. Another complaint was received against the hospital regarding improper management of BMW and as approved an inspection was conducted by Dr. Joshi Team, and it was decided on 04.09.09, M.S of the hospital attended personal hearing on 04.09.09. The unit was asked  to apply for CTE and also submit compliance report alongwith   status w.r.t 5 points & other deficiencies communicated to the hospital. Also the name of the hospital was included in the common D.O.Letter issued to Pr. Secy ( Health ) &  Pr.Secy(PWD), GNCT Delhi for the compliance on the 5 points. 

5.As per the decision on 25.11.09, Show Cause Notice from M.S.DPCC to M.S. of the Hospital was issued. D.O..Letters From Chairman, DPCC to Pr. Secy (Health) & Pr.Secy (PWD) mentioning the deficiencies. Hospital was advised not to operate the incinerator till Air Pollution Control Device (APCD) installed with the Incinerator is made operational.  copy of High Court Order dated 28.10.09 in W. P. (C) No. 6377/2004 was sent, for compliance report. Reply received dated 11.02.10 w.r.t.. SCN dated 04.01.10 regarding correction of deficiencies and informed that the Venturi Scrubber (APCD )has been repaired & working. Fresh Monitoring report of Incinerator is awaited.

6.Hospital was inspected on 10.06.10 & Temp. in Primary and secondary Chamber of incinerator was found less than the required temperature. Secondary Chamber is not working due to damaged efractory which requires repair/ change. Segragation of BMW not proper, mixing of BMW observed. Though port hole & platform provided however proper ladder has not been provided. Proper isolated storage facility for incinerator BMW not provided. Records keeping not keeping not proper, needs improvements. ETP found not operational/ defunct. Acoustic treatment for some DG sets is under process.


	D.O. letter from M.S DPCC to M.S.of the hospital, with copy to Pr.Secy (Health), seeking compliance / status report including fresh monitoring report for Incinerator within a month.
	DO letter issued. Reply not received. Monitoring report not received. Adequacy report for ETP not submitted. Not applied for CTE.

Hospital was Inspected on 10.06.10. 
	Issue Directions u/s 5 of EPA for not operating the incinerator, and for rectification of the deficiencies observed during the inspection, and also for operating the ETP. Hospital to also apply for CTE. Above directions to be issued without waiting for the minutes.

	Sl No.
	Name and Address of HCU
	Distt. No.
	Bed (No.)
	Authorization Status
	CTO Status 
	CTE Status 
	Status on 5 Points 
	Brief Status
	Decisions taken in the meeting on 02.03.10


	ATR/ Status
	Decisions taken in the meeting on 15.06.10

	2


	All India Institute of Medical Sciences, Ansari Nagar, New Delhi-29
	S-001
	1596
	Applied for renewal on 28.12.07 
	Applied on 12.09.08
	 Granted
	ETP-under process
SWHS- under process
RWHS- under process
CFL-partially done
Plantation-done 
	1. As per the decision on 01.06.09, M.S of the hospital attended personal hearing on 04.09.09. letter issued seeking compliance report alongwith   status w.r.t 5 points & other deficiencies communicated to the hospital.

2. Reply dated 24.09.09, 11.11.09 and 18.11.09 received along with monitoring report of incinerator conducted by GGSIPU on 20.05.09. Parameters were within the prescribed standards.

3. Monitoring of incinerator conducted by CPCB. As per the result of CPCB Monitoring conducted on 08.12.09, In Sample 1: Particulate Matter is 315.7 and at 12% of CO2 is 3444, is not meeting with the prescribed standards. No2 is 11.8 and at 12% of CO2 is 128.72. HCL is 1.0 and at 12% of CO2 is 10.90. In sample 2:   Particulate Matter is 716.3 and at 12% of CO2 is 7814.18, is not meeting with the prescribed standards. No2 is 9.2 and at 12% of CO2 is 100.36. HCL is 8.6 and at 12% of CO2 are 93.81.

4. As per the decision on 25.11.09, Reminder Letter issued seeking compliance  report on pending issues. Copy of High Court Order dated 28.10.09 in W. P. ( C) No. 6377/2004, was sent for compliance. SCN issued to hospital for the results of CPCB monitoring are not meeting the prescribed standards. Reply received dated 07.01.10, 11.01.10. & 22.01.10 & 23.01.10 regarding measures taken being taken, alongwith Monitoring report of Incinerator conducted by GGSIPU on 02.01.10, parameters meeting the standards except for VOC.  

5. An inspection of All India Institute of Medical Sciences was carried by Dr. T. K. Joshi team on 21.05.10. During the inspection, following were the observations:

1. Segregation of Bio Medical Waste was not found proper, mixing of bio medical waste observed both in incinerator & Autoclave storage site.

2. In Autoclave section, treated and untreated waste found kept in same room without proper separation wall.

3. Sharp boxes are not provided for sharp waste storage. Sharp are kept in glass jar. 

4. Incinerator no. 2 of the hospital found in operation during inspection.

5. Unit no. 1, incinerator was not in operation. Its refractory lining was being changed/ repaired. ID Fan casing was found broken and reported that it will be changed soon

6. Leakage of emissions observed from the secondary chamber of incinerator no. 2. It was observed that leakage was due to a hole/ broken portion of metal sheet in secondary chamber. 

7. PLC/ graphic recorder for incinerator is yet to be provided.

8. ETP installation is under process.
	CTE granted.,

Letter seeking present status of compliance on 5 points etc within 15 days.

Inspection thereafter for BMW Management.  


	CTE issued. Letter issued. Reply not received. Inspection carried out on 21.05.10.
As decided in file, directions issued u/s 5 of EPA including directions for not operating the incinerator and for rectification of deficiencies etc.

	Decisions taken in the file ratified by the Committee. 

	3.
	Safderjung Hospital, Aurobindo Marg New Delhi-29
	S-002
	1531
	Applied for renewal on 

07.01.2010
	Applied on 12.09.08 


	Applied on 08.08.08
	1.ETP-under consideration

2.RWHS-installed

3.SWHS-under process

4.CFL-partially done 
5.Plantation-done.


	Earlier Authorization expired on 30.01.10. Applied for renewal of Authorization on 07.01.10. 

1.Inspection of the Hospital & monitoring of the incinerator was conducted on 07.01.09. VOC & Temperature range for Primary Chamber were not meeting the prescribed standards.

2. As per the decision taken on 29.01.09, D.O. Letter issued from MS, DPCC to MS of Hospital with copy to Secy (Health) Govt. of India, for rectification of the deficiencies observed during the inspection and monitoring seeking fresh monitoring report for incinerator, to file compliance report on the five points mentioned in earlier letters.

3. D.O. letter Issued on 14.05.09 to MS of the Hospital, seeking full compliance report & also fresh monitoring report for incinerator.

4. Reply dated 23.03.09, 17.06.09 and 20.07.09 received and informed that ETP matter has been taken up with the Health Ministry.

5. As per the decision on 04.09.09, Addl. M.S of the hospital attended personal hearing on 04.09.09. Letter issued seeking compliance report alongwith   status w.r.t 5 points & other deficiencies communicated to the hospital.
6. Monitoring report for incinerator for monitoring  conducted  by Guru  Gobind  Singh Indraprastha University on 25.06.09 & 25.08.09 shows that  Temperature in Primary Chamber & VOC  were  not meeting the prescribed standards.

7. As per the decision on 25.11.09, Reminder Letter seeking compliance  report on pending issue. Copy of High Court Order dated 28.10.09 in W. P. ( C) No. 6377/2004, was sent for compliance.

8.Inspection was carried by Dr. T. K. Joshi team on 21.05.10 and BMW management found satisfactory. PLC provided for incinerator. During the inspection incinerator was in cooling phase. Microwave found operational/ in use. Sharp pits provided for disposal of sharps. Records for BMW found maintained. ETP-under consideration, SWHS- under process.



	Letter to Hospital to provide present status of compliance on 5 points etc and also fresh monitoring report for incinerator after taking corrective measures within a month. 
	Letter issued. Reply not received. Reminder issued on 09.06.10 seeking monitoring report for incinerator and present status w.r.t. ETP and SWHS.

Inspection done on 21.05.10. Matter was put up in file and as decided letter issued seeking status w.r.t. ETP & SWHS and fresh monitoring report for incinerator.
	Decisions taken in the file ratified by the Committee

	Sl No.
	Name and Address of HCU
	Distt. No.
	Bed (No.)
	Authorization Status
	CTO Status 
	CTE Status 
	Status on 5 Points 
	Brief Status
	Decisions taken in the meeting on 02.03.10


	ATR/ Status
	Decisions taken in the meeting on 15.06.10

	4.
	Lady Hardinge Medical College and Associated Hospital, Shahid Bhagat Singh marg, New Delhi


	ND-001
	1227
	Applied on
14.06.2010
	Applied on 23.11.09
	Granted


	1. SWHS:installed

2. RWHS: installed

3. ETP:   under process

4. CFL:done

5. PLANTATION: done
	Applied on 09.03.07 (three years lapsed)

 1.Inspection of the Hospital & monitoring of the incinerator was conducted on 19.12.08 and letter issued for deficiencies observed. Particulate Matter, VOC, Temperature range for Primary Chamber were not meeting the prescribed standards. 

2. As per the decision taken on 29.01.09, reminder issued on 24.02.09. Another DO letter issued on 14.05.09 for full compliance report and monitoring report of incinerator.

3. Reply dated 02.07.09 received regarding measures taken/ being taken. 

4. As per the decision taken on 04.09.09, Director of the hospital attended personal hearing on 04.09.09. The unit was asked to apply afresh for CTO and compliance report along with status w.r.t 5 points & other deficiencies communicated to the hospital.

5. As per the decision on 25.11.09, Reminder Letter issued seeking compliance report on pending issues. Copy of High Court Order dated 28.10.09 in W. P. (C) No. 6377/2004, for compliance. Reply received dated 21.12.09 regarding measures taken/  being taken. Monitoring report submitted by the unit for the monitoring conducted by National Productivity Council (NPC) on 29.12.09, it is meeting with the prescribed standards, however parameters VOC and HCL  not mentioned in the report.
	CTE granted.

Letter seeking present status of compliance on 5 points etc and also fresh monitoring report for incinerator for the prescribed parameters including HCL  VOC , Temperature in Primary & Secondary Chambers etc. within a month.

Also seek application for CTE for additional/new construction.
	CTE issued Letter issued. Reply not received. Fresh monitoring report for incinerator not received. CTE not applied for additional/new construction.
Inspected on 14.06.10. 
	Reminder seeking fresh  application for CTE for additional/ new construction., status w.r.t. ETP and also for  fresh monitoring report for incinerator

	5.


	Rajan Babu Institute for Pulmonary Medicine & Tuberculosis (RBTB Hospital),  GTB Nagar, Kingsway Camp,Delhi-9 
	NW-001
	1155
	Applied on 02.08.05 (three years lapsed)
	Applied on 13.11.07    


	Not applied
	1. SWHS: installed

2. RWHS:under process

3. ETP:under process

4. CFL:under process

5. PLANTATION:under process
	 Applied on 02.08.05 (three years lapsed)

1.D.O. letter Issued on 14.05.09 to MS of the Hospital, seeking full compliance report. The Hospital was advised to close down Incinerator as quantity of Bio Medical Waste generated from the Hospital is quite less (2-5 Kg /day) and a D.O. Letter was issued to DHA, MCD in this regard.

2. Reply dated 19.05.09 & 06.07.09, received regarding measures taken/ being taken for rectification of deficiencies. It was also informed that incinerator was not in operation. 

3. As per the decision on 01.06.09, reminder letter issued for full compliance. Reply received dated 06.07.09 regarding measures taken/ being taken for rectification of deficiencies observed during the inspection.

4. As per the decision on 04.09.09, letter issued for CTE and expediting the compliance of other things. Point wise reply received dated 07.11.09 regarding measures taken/ being taken.

5. As per the decision on 25.11.09, Reminder Letter issued to comply with remaining things and asked for CTE. Reply received on 07.11.09 regarding measures taken/ being taken.

	Call for Personal Hearing in next meeting.
	Letter issued. 
	MS of the hospital attended the personal hearing on 15.06.10. it was informed that SWHS installed & there are plenty of trees in the premises. Joint ETP with MVID hospital is proposed to be installed. He has written to Engineering Division (MCD) for carrying out the remaining works i.e. ETP, RWHS & CFL. however, there is little progress in this regard. They will submit fresh application for Authorization and CTE within 15days. Issue DO letter to DHA (MCD) with copy to Commisioner MCD

	Sl No.
	Name and Address of HCU
	Distt. No.
	Bed (No.)
	Authorization Status
	CTO Status 
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	Decisions taken in the meeting on 02.03.10
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	Decisions taken in the meeting on 15.06.10

	6.
	Ram Manohar Lohia Hospital, Baba Kharak Singh Marg New Delhi-1
	ND-002
	1000
	Applied on 02.02.2010
	Applied on 20.09.07.
	Granted
	1. SWHS:  under process

2. RWHS: installed

3. ETP: under process

4. CFL: under proecss

5. PLANTATION: done
	Earlier Authorization expired on 18.02.10. Applied for renewal of Authorization on 02.02.10.
1. Inspection of the Hospital & monitoring of the incinerator was conducted on 19.12.08. VOC & Temperature for Primary & Secondary Chambers were not meeting the prescribed standards. As decided on 29.12.08, letter issued for the deficiencies observed.

2. As per the decision taken on 02.03.2009, Letter issued for installing the ETP within next 3 months and for submission of compliance w.r.t. the letters issued for deficiencies. 

3. As per the decision taken on 27.04.09, D.O. letter Issued on 14.05.09 from MS, DPCC to MS of the Hospital, seeking full compliance report & also fresh monitoring report for incinerator.

4. As per the monitoring conducted on 31.07.2009 by National Productivity Council (NPC) an empanelled laboratory of DPCC, it is meeting the prescribed standards, however parameters VOC and HCL not mentioned in the report. 
5. As per the decision on 25.11.09, Final reminder issued for remaining things. Copy of High Court Order dated 28.10.09 in W. P. ( C) No. 6377/2004 was sent, for compliance. Reply received on 02.01.10 regarding measures taken being taken.

6. Letter dated 24.12.09 was issued to the hospital seeking compliance report from the hospital. The hospital has informed regarding the measure taken/ being taken 
	CTE granted.

Letter seeking present status of compliance on 5 points etc and also fresh monitoring report for incinerator for the prescribed parameters including HCL VOC, Temperature in Primary & Secondary Chambers etc. within a month.
	CTE issued Letter issued. Reply not received. Fresh monitoring report for incinerator not received. 
	D. O. Letter to DG (Health). 

	7.
	Hindu Rao Hospital Delhi –07.


	N-001
	980
	Applied on 05.03.10 
	Applied on 12.05.09
	Granted
	1. SWHS: under process

2. RWHS: not fesieable

3. ETP: under process

4. CFL: under process

5. PLANTATION: done
	1. Monitoring report for incinerator conducted by GGSIPU on 12.05.09 was received, parameters within the prescribed standards. 

2. As per the result of CPCB Monitoring conducted on 14.12.09, In Sample 1: Particulate Matter is 610.6 and at 12% of CO2 is 4070.66, were not meeting with the prescribed standards. No2 is 23.2 and at 12% of CO2 is 154.66. HCL is 1.8 and at 12% of CO2 is 12 In sample 2:   Particulate Matter is 1053.7 and at 12% of CO2 is 494.9, is not meeting with the prescribed standards. No2 is 10.5 and at 12% of CO2 is 63. 

3. SCN issued on 13.01.10 w.r.t deficiencies observed during the monitoring of incinerator. Reply received alongwith Monitoring report of incinerator submitted after CPCB monitoring, conducted by GGSIPU on 25.12.09, parameters meeting the standards and informed regarding rectification of other deficiencies.

4. As per the decision on 25.11.09, Final reminder issued for remaining things. Copy of High Court Order dated 28.10.09 in W. P. (C) No. 6377/2004, was sent for compliance. SCN issued for the results of CPCB monitoring were not meeting the prescribed standards. Reply dated 10.12.09 & 21.01.10 regarding correction of deficiencies alongwith monitoring report for incinerator submitted conducted GGSIPU on 23.12.09 meeting the standards.
5.An inspection was carried by Dr. T. K. Joshi team on 05.05.10. During the inspection, following were the observations:
1.Thick black smoke was coming out of incinerator stack.

2.Bio medical waste was being fed into incinerator however, temperature of primary and secondary chamber of incinerator not found within the prescribed range of temperatures. PLC (Programmable Logic Control) system for incinerator is yet to be installed.

3.Recirculation system for Air Pollution Control Device (APCD) for incinerator not in use, staff deputed for incinerator and autoclave is not properly trained for operation & maintenance of incinerator.

4Records keeping for Bio medical waste for incinerator and autoclave through maintenance however, not properly maintained.

5.Acoustic enclosure is not provided with the DG sets of 5 no. (500 KVA-3 nos. & 125 KVA- 2 nos.).

6.Segregation of bio medical waste at source not found proper. Mixing of bio medical waste observed in casualty, surgical wards and orthopedic ward.

7.Effluent Treatment Plant (ETP) not installed.

	CTE granted.

Letter seeking present status of compliance on 5 points etc within 15 days. Inspection thereafter.
	 CTE issued. Letter issued. Reply not received. Inspection was carried out on 05.05.10.

As decided in file, directions issued u/s 5 of EPA including directions for not operating the incinerator. 

Decision to be ratified.
	Decisions taken in the file ratified by the Committee.

	Sl No.
	Name and Address of HCU
	Distt. No.
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	8
	Guru Teg Bahadur Hospital, Shahdara , Delhi-95


	NE-001
	938
	Applied for renewal on 03.05.10
	19.12.07
	18.11.08 
	1.ETP- matter is under process.

2.Solar Water heating System: Solar panels installed & remaining work is under process.

3.Rain Water Harvesting System: Provided on director Bungalow and in rest of the areas it is under process.

4.CFL: done in phased manner.

5.Plantation: under progress
	Earlier Authorization expired on 18.02.10. Applied for renewal of Authorization on 03.05.10. 
1. As per the decision on 01.06.09, the unit came for personal hearing and said that for the compliance of directions on different issues, mater has been taken up with PWD and a meeting in this regard has already been fixed on 11.06.09 in the chamber of Pr. Secy (Health). They stated that for the deficiencies observed in the monitoring of incinerator, the matter has been taken up with the PWD to carry out necessary action as directed by DPCC. Unit was asked to submit the complete information regarding the progress made on different points including deficiencies, after the said meeting on 11.06.09 and accordingly letter was issued. Reply received on 24.07.09, regarding measures taken/ being taken.

2. As per the result of CPCB Monitoring conducted on 21.12.09, parameters were not meeting with the prescribed standards. SCN was issued to hospital. Reply received on 06.01.10, 29.01.10. & informing that the major repair is required in the incinerator for which PWD has been asked to do so. 
4. reply received on 16.04.10, it was informed that the major repairs of incinerator plant had been completed and work satisfactorily by PWD. M/s Davis Surgico had also informed that the venturi scrubber (APCD) of incinerator plant at GTB hospital is working satisfactorily. Ash analysis and Flue Gas Analysis is also submitted for monitoring conducted on 27.03.10 & 08.04.10 by GGSIPU. The parameter for Volatile Organic Compound (VOC) in ash (0.03%) is not meeting the prescribed limit of (0.01%).

5. As desired by EPCA, in its meeting held on 19.02.10, inspection was carried by Dr. T. K. Joshi team on 19.05.10. During the inspection, following were the observations:

1. Segregation of Bio Medical Waste was not found proper, mixing of bio medical waste with general waste was observed at the storage site.

2. Sharp boxes should be provided for proper sharp waste storage.

3. Records keeping for BMW needs improvement.

4. Properly trained/ qualified personal are required for operation & maintenance of incinerator.
5. Incinerator of the hospital is not operational since 20.04.10. Incinerable waste is being sent to LNJP hospital/ Lal Bahadur Shastri hospital, Delhi for incineration and disposal. It was informed that Refractory bricks have been changed/ repaired and burners have also been overhauled (cleaning of nozzles etc.) in the incinerator. 

6. PLC procured and found at the incinerator site, however, yet to be installed.

7. Regarding 5 points: matter under process.

5.A letter received from PWD regarding the repair work carried out in incinerator plant.
.
	Directions u/s 5 of EPA, to M.S. of the Hospital, not to operate the incinerator till prior permission of DPCC is taken in this regard. Hospital to take necessary rectification measures and inform DPCC. Hospital to also submit present status of compliance on 5 points etc within 15 days. Also seek present status w.r.t treatment & disposal of BMW.
	1.Directions u/s 5 of EPA issued. 
2.Reply received on 16.04.10 and it was informed that the major repairs of incinerator plant had been completed.

3.Hospital inspected on 19.05.10 and deficiencies observed..

4.letter issued for rectification of deficiencies observed and for not operating the incinerator.
	Decisions taken in the file ratified by the Committee.
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	9.
	Rajiv Gandhi Super Speciality Hospital

Near GTB Hospital, Tahirpur, Delhi-93
	E-245
	650
	Not applied
	Not applied
	Granted


	1. SWHS: not installed
2. RWHS: installed
3. ETP/ STP: Installed

4. CFL: done
5. PLANTATION: required trees. 
	1.  The unit attended personal hearing. It was informed that Solar Water Heating System, CFLs,  medical gas line will be done by PPP partner. However, STP and Rain Water Harvesting system are already complete. He was asked to submit the details of his statements within 15 days along with details of Plantations carried out on the periphery of the hospital. He was also asked to provide the total covered area in the hospital. 


2. As per the decision on 04.09.09, CTE  was granted and the unit was asked to submit adequacy report for ETP. Unit was inspected on 19.11.09.

3. As per the decision taken on 25.11.09, Letter issued for deficiencies observed and for authorization & CTO.


	Reminder Letter
	Letter issued. Reply not received.

	Call for personal hearing.

	10.


	G.B.Pant Hospital, J.L. Nehru Marg, New Delhi-2 


	C-002
	601
	Applied on 14.06.10
	Applied on 26.09.07.
	Granted


	1. SWHS: Matter with PWD

2. RWHS: Matter with PWD

3. ETP: installed

4. CFL: Matter with PWD

5. PLANTATION: done
	Applied on 14.06.10 (three years lapsed)

1. Based on the complaint received against the kabariwalas operating near the Hospital, an inspection was carried out by PGRC officials and as decided, a Show Cause Notice was given to the hospital on 25.07.08. 

2. Reply received w.r.t SCN stating that BMW is being managed properly and there is no pilferage of the BMW or picking up by the rag pickers. 

3. A letter has been issued on 22.08.08 mentioning the deficiencies observed.

4. Letter dated 10.01.09 received regarding disposal of blood bags.

5. As per the decision taken on 02.03.2009, Letter for Adequacy Report of ETP, and for acoustic enclosure for D.G. Set(s), and for other deficiencies, issued.

6. As per the decision taken on 01.06.09, reminder issued for full Compliance.

7. As per the decision on 04.09.09, Well drafted letter issued mentioning the deficiencies requirements in the case. 

8. As per the decision taken on 25.11.09, Final reminder issued for remaining things and for fresh authorization under BMW Rules. W.R.T the representation received regarding permission to operate the incinerator, hospital was informed regarding CPCB Guidelines for incinerators and permission was not granted for operation of incinerator.

Reply dated 09.11.09 & 02.02.10 were received regarding correction of deficiencies. 


	Letter seeking fresh application for authorization, present status of compliance on 5 points etc within 15 days. Hospital to also apply for / EC /CTE for the construction of Additional Block.   


	Letter issued. 

Reply received;

1.ETP functional.

2.NM of DG sets has been carried out, however, report awaited.
EC /CTE for the construction of Additional Block not received.
Hospital was inspected on 09.06.10.   
	Authorization Granted. Inspection w.r.t. request for operation of  incinerator.
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	11.


	E.S.I. Hospital, Basai Darapur,Ring Road, New Delhi-15
	W-001
	600


	Applied on 30.11.06 (three years lapsed)
	Applied on 24.12.07.
	Granted


	1. SWHS: under process

2. RWHS: under process

3. ETP: installed

4. CFL: done

5. PLANTATION: done
	Applied on 30.11.06 (three years lapsed)

1. Letter received dated 06.11.09 informing that ETP has been installed and  RWHS, SWHS is under process.

2. Letter issued seeking adequacy report for ETP and progress of SWHS, and RWHS and also for CTE for proposed medical college & renovation.


	Reminder letter
	Letter issued. Reply not received.
	Issue reminder. Thereafter Inspection

	12.
	Lala Ram Swaroop Institute of Tuberculosis and Respiratory Diseases,  Sri Aurobindo Marg New Delhi-30
	S-004
	515
	Not applied 
	Applied on 06.08.07
	Granted
	ETP: under process

RWHS: installed

SWHS: under process

CFL- done

Plantation-done
	Earlier Authorization expired on 07.03.10.

1.As per the decision on 01.06.09, suitable reply has been sent by the BMWM Cell. Reply received on 23.07.09 regarding measures taken/ being taken and submitted fresh monitoring report for incinerator.

2.As per the decision on 25.11.09, Reminder letter for compliance on remaining things. Also send copy of High Court Order dated 28.10.09 in W. P. (C) No. 6377/2004, for compliance & seek compliance report within 15 days. Letter issued. Reply received on 05.01.10. regarding measures taken/ being taken and also informed that  for installation of PLC  the matter is under process.


	CTE granted Letter seeking present status of compliance on 5 points etc within 15 days.
	CTE issued. Letter issued. Reply received. Ash analysis report submitted.                          
	Letter seeking application for renewal  Authorization and remaining things.

	13
	Deen Dayal Upadhya Hospital, Hari Nagar, New Delhi-64
	W-002
	500
	Applied on 23.07.08


	Applied on 16.01.08
	Not applied.
	1.ETP- matter under PWD.

2.SWHS-installed

3.RWHS-installed.

4.CFL-done

5.Plantation-done
	1. As per the decision taken in meeting on 13.06.08 a common letter to Pr. Secy (Health) with copy to Pr.Secy (PWD) from chairman, DPCC was issued.

2. Reminder letter was sent to Pr. Secy (Health) for getting the Consent to Establish, as decided on 27.08.08.

3. As decided in meeting held on 28.11.08, letter issued for installation of Solar Water Heating System and Rain Water Harvesting System within a month.

4. Letter dated 22.01.09 received regarding CTE etc.

5. As per the decision taken on 02.03.09, hospital was inspected and asked to comply with the earlier decisions of the Committee, through a D.O. letter from MS, DPCC to MS of the Hospital.


6. As per the decision taken on 01.06.09, letter issued to the hospital to call for personal hearing on 04.09.09.

7. Decision on 04.09.09, Call for personal hearing in the next meeting. Include the name of the hospital in the common D.O.Letter to be issued to Pr. Secy ( Health ) &  Pr.Secy ( PWD), GNCT Delhi for the compliance on the 5 Points. Letters issued in this regard.

8. No one from the hospital attended personal hearing on 25.11.09.Show Cause Notice was issued. Reply dated 22.01.10 received.


	Call for  Personal Hearing in next meeting.
	Letter issued for personal hearing.

Inspected on 14.06.10 & deficiencies observed w.r.t. segregation etc. 


	Representative of the hospital attended the personal hearing on 15.06.10.  they will apply for CTE and submit present status w.r.t. ETP within 15 days. Issue DO Letter from MS, DPCC to MS of the hospital mentioning the deficiencies.
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	14.
	Dr. Baba Saheb Ambedkar Hospital Sector-6, Rohini

, New Delhi-85 
	NW-002
	500
	 Applied on 02.08.07
	Applied on 13.08.07.
	Granted
	1. SWHS: under process

2. RWHS: under process

3. ETP: under process

4. CFL: done partially

5. PLANTATION: done
	1. As decided on 27.08.08 notice was issued for corrections of deficiencies noted by inspection team.
2. A news item was published in the Times of India on 06.04.09 regarding the inspection of this Hospital including other four hospitals of Delhi Government by the Health Minister of Govt. of NCT of Delhi and her observations regarding improper management of BMW particularly Sharp Waste Management.

3. Inspection of the hospital was carried out on 18.04.08 & deficiencies w.r.t BMW management were observed.

4. Unit attended personal hearing. The solar water heating system was getting installed. Rain water harvesting system, ETP and Solar Water Heating System was decided to be installed within 2--3 months. CFLs changed within one month. D. O. Letter issued to MS of the Hospitals for rectification of the deficiencies observed during the inspection by the team of Dr. T.K. Joshi by 25.05.2009, with copy to Pr. Secy. (Health), Govt. of Delhi and PS to Minister for Health,  Govt. Delhi.

5. The name of the hospital was included in the common D.O.Letter to be issued to Pr. Secy (Health) & Pr.Secy (PWD), GNCT Delhi for the compliance on the 5 Points. 
6.Reminder letter was issued seeking compliance from the hospital w.r.t. deficiencies & 5 points. 
7.D. O. Letter was issued followed by reminder.  

8. Letter was issued seeking present status w.r.t compliance on 5 points.
	CTE granted.

Reminder Letter seeking present status of compliance on 5 points etc within 15 days.
	CTE issued. Letter issued. Reply received informing that,

1.Bio hazard symbol has been painted at the storage site.

2.Shredder & Autoclave for treatment of BMW are being installed.
	Inspection .

	15.
	Kasturba Hospital, Near Jama Masjid, New Delhi-2
	C-004
	450
	Applied on 26.08.09
	Applied on 22.01.10
	Applied on 24.11.08.


	1. SWHS: under process
2. RWHS: not feasible

3. ETP: under process

4. CFL: T-5.28  tube light used

5. PLANTATION: done
	1. Addl. M.S of the hospital attended personal hearing on 04.09.09. The unit apply afresh for CTO and also submit compliance report alongwith   status w.r.t 5 points & other deficiencies communicated to the hospital.
2. Unit was Inspected on 20.01.10 & following observed.

· Isolated storage site/ room should be provided for incinerable waste.

· Syringe cutter, Needle destroyer was not found working at some of the places.

· Bio hazards symbols not provided.
· Records of BMW not found proper, needs improvement


	Letter for rectification of the deficiencies observed during the inspection; also seek present status of compliance on 5 points etc & details of existing and new construction, within 15 days.

	Letter issued. 

Reply received:

1.Isolated storage site for incinerable waste has been identified.

2.Syringe cutters & needle destroyers in working order.

3.Bio hazard symbol  are not provided.

4.Records are properly maintained.

5.Redesingning of ETP is under process.
	CTE Granted. Letter seeking  present status of compliance on 5 points etc & details of existing and new construction, within 15 days.

	Sl No.
	Name and Address of HCU
	Distt. No.
	Bed (No.)
	Authorization Status
	CTO Status 
	CTE Status 
	Status on 5 Points 
	Brief Status
	Decisions taken in the meeting on 02.03.10


	ATR/ Status
	Decisions taken in the meeting on 15.06.10

	16


	Northern Railway Central Hospital, Northern Railway Basant  Lane

 New  Delhi-55
	C-006
	312
	Applied on 25-Aug-06 
	19-Nov-07
	23.02.10 (incomplete)
	1. SWHS: not installed

2. RWHS: installed

3. ETP: not installed

4. CFL: done

5. PLANTATION: done
	1. As decided on 28.11.08 Reminder letter for Solar Water Heating System, Rain Water Harvesting System & ETP and for CTE was issued. 

2. Reply received on 19.02.09 w.r.t letter dated 22.01.09.

3.Unit was called for personal hearing on 27.04.2009 at 3:30 PM and Letter received from the unit was replied with respect to compliance report on 5 points communicated to the hospital earlier.

4. Reply dated 29.06.09 received regarding disposal of bio-medical waste to common operators.

5. hospital was asked to apply afresh for authorization.
	Unit attended personal hearing on 24.02.10. CTE to be granted after completing the application/ after submission of required information. Unit to apply  afresh for authorization since 3 years expired from the date of earlier authorization application. Unit to install ETP & SWHS by June, 2010 & to submit monthly progress report to DPCC in this regard.

	CTE  issued. Letter issued.

Monthly progress report not received. Authorization application not received.
	D.O. Letter to GM (NR).

	17
	Janak puri Super Specialty Hospital (Govt. of NCT of Delhi), C-2/B, Janakpuri, New Delhi-58. 
	W-391
	300
	Applied on 28.07.09
	Applied on 15.03.10 
	Applied on 15.03.10 
	1. SWHS: ---
2. RWHS: process & installed
3. ETP: process & installed
4. CFL: done
5. PLANTATION: done
	1. Applied for Fresh Authorization under BMW Rules on 28.07.09. As informed, only OPD services are operational.

2.  Unit  was Inspected on 11.02.10 and following observed.
· Only OPD is functioning, No beds in the hospital.

· STP installed, condition indicates that STP is not operated regularly.

· Flow meters should be installed.


	Letter for rectification of the deficiencies observed during the inspection & also for STP functioning.
	Letter issued. Reply not received.
 
	Inspection.

	Sl No.
	Name and Address of HCU
	Distt. No.
	Bed (No.)
	Authorization Status
	CTO Status 
	CTE Status 
	Status on 5 Points 
	Brief Status
	Decisions taken in the meeting on 02.03.10


	ATR/ Status
	Decisions taken in the meeting on 15.06.10

	18.
	E.S.I Hospital, Jhilmil, Delhi-95


	E-001
	250
	Applied on 06.02.10
	Applied on 14.03.08
	Not Applied
	1.SWHS- installed.

2.RWHS-installed.

3.CFL-done

4.Plantation-done.

5.ETP- not installed.
	1. The representative of the unit attended personal hearing on 29.01.09, it was decided that unit will reply on all the five points by 02.03.2009.

2. Letter was received on 27.02.09, regarding measures taken/ being taken on 5 points.

3. As decided taken on 02.03.2009, reminder letter with copy to medical commissioner, ESI, issued.  As decided, letter issued for full compliance.

5. As decided on 01.06.09, letter issued for Interim report.

6. As decided `on 04.09.09, Reminder issued for  CTE  & other remaining  things i.e. CFL, ETP, Stack monitoring report

7. Final reminder issued for CTE etc. Reply received dated 14.01.10.
	Letter for  CTE. & for Adequacy report for ETP. Also call for Personal Hearing in the next meeting.
	Letter issued. 

Reply received and informed that there is no ETP in the hospital.
And BMW outsourced through Metro Bio Care ltd
	Representative of the hospital attended the personal hearing on 15.06.10.  They will apply for CTE within 15 days. Also submit the present status w.r.t. ETP. D.O. letter to DG ESI with copy to Medical Commissioner.

	19
	Swami    Dayanand Hospital, Shahdara , Delhi-32
	NE-002
	230


	Applied for renewal 
	Applied on 19.07.05 (three years lapsed)
	Applied on 24.06.08
	1.ETP-under process
2.SWHS-90% completed.

3.RWHS-under consideration

4.CFL-done

5.Plantation- is in  process.
	1. Inspection of the Hospital was conducted on 15.01.09 & monitoring of the incinerator was conducted on 16.01.09. Deficiencies observed, Temperature range for Primary Chamber was not meeting the prescribed standards.

2. As decided on 29.01.09, D. O. Letter from MS, DPCC to MS of Hospital, for rectification of the deficiencies & for submission of  fresh monitoring report for incinerator was issued. D.O. Letter also was issued from Chairman, DPCC to Commissioner, MCD.
3. Monitoring report for incinerator for monitoring conducted by Guru Gobind Singh Indraprastha University on 28.03.09 shows parameters meeting the prescribed standards. 

4. Another DO letter issued from MS, DPCC to the Hospital on 14.05.09 for compliance report. Reply dated 14.07.09 received informing that incinerator shall not be operated till restoration of chimney and confirmation report. Also informed about the other measures taken.

5. As decided on 01.06.09, A letter was sent to the unit that incinerator should not be operated till restoration of chimney and confirmation followed by inspection by Dr. T.K. Joshi’s team. Unit was asked to provide a copy of compliance on five points as stated to be submitted on 02.03.2009.

6. As decided on 04.09.09, unit was inspected & letter was issued communicating the  deficiencies . Copy of High Court Order dated 28.10.09 in W. P. ( C) No. 6377/2004 was sent, for compliance. Reply/ letters dated 30.12.09, 08.01.10 & 14.01.10 regarding correction of deficiencies were received

	Letter seeking present status of compliance on 5 points etc within 15 days.
	Letter issued. Reply  received.
	CTE Granted. Letter seeking present status of compliance on 5 points etc within 15 days. 

	Sl No.
	Name and Address of HCU
	Distt. No.
	Bed (No.)
	Authorization Status
	CTO Status 
	CTE Status 
	Status on 5 Points 
	Brief Status
	Decisions taken in the meeting on 02.03.10


	ATR/ Status
	Decisions taken in the meeting on 15.06.10

	20.
	M.V.I.D Hospital (MCD),  Kingsway Camp, Delhi-9


	NW-004
	227
	Applied on 09.06.08


	Applied on 20.04.07 (three years lapsed) 
	Granted 
	ETP: under process 

SWHS- installed

RWHS-under process

CFL- mostly completed.

Plantation- done
	1. W.r.t letter dated 22.10.08, vide letter dated 06.11.08, HCU has installed SWHS (one unit at Laboratory) & rest was under progress. For rest of the issues the matter was taken up with the concerned Deptt. New Elec. Installation is of CFL.Hospital is having thick foliage cover of greenery all around. New trees was reportedly being planted.

2. Inspection of the hospital & monitoring of the incinerator was conducted on 06.02.09. 

3.  As decided on 02.03.2009, D.O. Letter from MS, DPCC to MS of Hospital for rectification of the deficiencies observed during the inspection and monitoring was issued. D.O. Letter was also issued from Chairman, DPCC to Commissioner, MCD. M S, DPCC also talked to M S of the Hospital to outsource the small quantity of the incinerable BMW instead of burning the waste at the incinerator of this hospital.

4. D.O. letter Issued on 14.05.09 from MS DPCC to MS of the Hospital, seeking full compliance report. The Hospital was advised to close down Incinerator as quantity of Bio Medical Waste generated from the Hospital is quite less (1-2 Kg /day) and a D.O.Letter was also been issued to DHA, MCD in this regard.

5. Reply dated 13.04.09, 05.05.09, 18.05.09 and 27.05.09 received regarding measures taken for rectification of deficiencies. Monitoring report for incinerator for monitoring conducted by GGSIPU on 28.03.09 shows parameters meeting the prescribed standards.
6. As decided on 04.09.09, Letter issued for seeking status w.r.t. 5 points & other things. Reply received dated 21.10.09 regarding measures taken/ being taken.

7. As decided on 25.11.09,  Reminder Letter  for compliance on remaining issues. Copy of High Court Order dated 28.10.09 in W. P. ( C) No. 6377/2004, was sent for compliance.

	Letter seeking fresh application for CTO & present status of compliance on 5 points etc within 15 days.
	 Letter issued. Reply not received.
	Reminder letter seeking fresh application for CTO & present status of compliance on 5 points etc within 15 days.

	Sl No.
	Name and Address of HCU
	Distt. No.
	Bed (No.)
	Authorization Status
	CTO Status 
	CTE Status 
	Status on 5 Points 
	Brief Status
	Decisions taken in the meeting on 02.03.10


	ATR/ Status
	Decisions taken in the meeting on 15.06.10

	21.
	Chacha Nehru Bal Chikatsalya, Geeta Colony, Delhi-31
	E-179
	216
	Applied on 02.03.10


	Granted

(Valid upto 01.04.11)
	Granted
	ETP- adequacy report is still awaited.

2.SWHS-under process

3.RWHS-installed.

4.CFL-done

5.Plantation-done
	Earlier authorization was expired on 07.03.10. Applied for renewal on 02.03.10

1. As decided, CTO was issued and letter was issued for interim report.
2. As decided on 29.01.09, reminder issued.

3. As decided on 02.03.09, Letter for full compliance issued.

4. Reply received on 05.03.09 and 29.04.09, regarding the measures taken/ being taken on 5 points.


5. As decided on 01.06.09, letter issued to the unit to file interim report. Compliance report received on 13.07.09 stating matter with PWD.

6. As decided on 04.09.09, letter issued for 9

adequacy report for ETP. Letter issued. Reply received dated 22.10.09 informing matter with PWD.

7. As decided on 25.11.09, Letter issued seeking present status w.r.t ETP etc. Reply received on 25.02.10


	Reminder letter for Adequacy Report
	Letter issued. Reply received and informing that installation of ETP and testing/ adequacy report is still awaited.

2.SWHS-under process

3.RWHS-installed.

4.CFL-done

5.Plantation-done 
	Letter seeking status of installation of SWHS & Adequacy report  for ETP within 15 days.

	22.
	Satyawadi Raja  Harish Chander hospital, Plot No.30,Sector-7A, Narela, Delhi-40


	NW-278
	200
	Applied on 11.06.10 
	Applied on 30.03.10
	 Applied on 30.03.10
	1. SWHS: under process

2. RWHS: under process

3. ETP: not installed

4. CFL: done

5. PLANTATION: done
	1. As decided on 02.03.09, A common D.O. letter from Chairman, DPCC to Secretary Health and Secretary, PWD, was sent.

2. As decided on 01.06.09, letter issued to the unit to file interim report.

3.. As decided on 04.09.09, the name of the hospital was included in the common D.O.Letter issued to Pr. Secy ( Health ) &  Pr.Secy ( PWD), GNCT Delhi for the compliance on the 5 Points  . 
4. Representative of the hospital attended personal hearing on 25.11.09, letter  was issued seeking application for CTE & CTO & for  installation of   Solar Water Heating System within one month , ETP & Rain Water Harvesting System  within 3 months.


	Letter seeking CTE, CTO & present status of compliance on 5 points etc within 15 days.
	Letter issued. Reply received

1.ETP-it was decided in Pr.Secy meeting held on 25.09.07, ETP is required in 500 or more bedded hospital.

2.SWHS-under process by PWD.

3.RWHS-awaiting for estimation from PWD.

4. CFL-done

5.under process.
	CTE Granted. Suitable reply w.r.t ETP & status w.r.t other points. Also seek fresh application for authorization under BMW Rules.

	Sl No.
	Name and Address of HCU
	Distt. No.
	Bed (No.)
	Authorization Status
	CTO Status 
	CTE Status 
	Status on 5 Points 
	Brief Status
	Decisions taken in the meeting on 02.03.10


	ATR/ Status
	Decisions taken in the meeting on 15.06.10

	23.
	Jag Pravesh Chand Hospital (Shastri Park Hospital),Govt. of NCT of Delhi, Shastri Park,Delhi-53
	NE-104
	200
	 Not applied for renewal
	Applied on 20.11.07.


	Not applied.
	1. SWHS: installed

2. RWHS: under process

3. ETP: under process with PWD

4. CFL: done

5. PLANTATION: done
	Earlier Authorization expired on 07.03.10. 

1. As decided on 01.06.09, unit came for personal hearing and confirmed that they have already installed Solar Water Heating System and will apply for CTE within 7 days. Other works like CFL, Rain Water Harvesting System is being done by PWD for which matter is under process & they will carry out the remaining compliance as early as possible, accordingly letter issued.

2. As decided on 04.09.09, Letter issued for CTE and the name of the hospital in the common D.O.Letter to be issued to Pr. Secy ( Health ) &  Pr.Secy ( PWD), GNCT Delhi for the compliance on the 5 Points. 
3.Reply received dated 30.10.09 and informed that RWHS, ETP is under process and SWHS, CFL, Plantation has been installed.

4. As decided on 25.11.09, reminder letter issued for CTE. 

	Letter seeking fresh application for Authorization & for CTE and also present status of compliance on 5 points etc within 15 days.
	Letter issued. Reply not received. CTE & fresh authorization application not received.
	Reminder.

	24.
	Jai Prakash Narayan Apex Trauma Centre, Ansari Nagar, Raj Nagar, New Delhi-29


	SW-131
	200
	Applied on 07.09.06 (three years lapsed)
	Applied on 27.09.07
	Applied on 24.08.05 
	1. SWHS: no information

2. RWHS:no information

3. ETP: installed
4. CFL:no information

5. PLANTATION:no information
	1. Unit attended personal hearing on 04.09.09. Letter issued to apply afresh for Authorization and also submit compliance report alongwith   status w.r.t 5 points & other deficiencies communicated to the hospital within 15 days.  Letter issued.

2. As decided on 25.11.09, final reminder was issued to the unit.


	Reminder Letter seeking  fresh application for authorization, present status of compliance on 5 points etc within 15 days. Hospital to also submit adequacy report for the ETP Installed.
	Letter issued. Reply not received.
	CTE Granted.Reminder.

	25.
	Hedgewar  Arogya Sansthan, Opposite CPCB, Karkardooma, east Arjun Nagar, Delhi-32


	E-158
	200
	Applied on 14.06.10
	Applied on 19.12.07


	Granted
	Letter issued. 

Reply received:

RWHS- installed

SWHS: under process

ETP: under process. CFL: done

Plantation: done.


	 Earlier Authorization expired on 30.05.10. 

1.As per the decision on 04.09.09, letter issued for the compliance status w.r.t. 5 points. Include the name of the hospital in the common D.O.Letter to be issued to Pr. Secy ( Health ) &  Pr.Secy ( PWD), GNCT Delhi for the compliance on the 5 Points. 

2. As pet the decision on 25.11.09, letter issued for present status w.r.t. 5 points.


	Reminder Letter seeking present status of compliance on 5 points etc within 15 days.
	RWHS- installed

SWHS: under process

ETP: 50% work completed

CFL: done

Plantation: done.


	Letter seeking present status w.r.t 5 points.

	Sl No.
	Name and Address of HCU
	Distt. No.
	Bed (No.)
	Authorization Status
	CTO Status 
	CTE Status 
	Status on 5 Points 
	Brief Status
	Decisions taken in the meeting on 02.03.10


	ATR/ Status
	Decisions taken in the meeting on 15.06.10

	26
	Bhagwan Mahavir Hospital  , H – 4/5, Pitampura, Delhi -34.
	NW-301
	200
	Applied for renewal on 12.04.10
	Applied on 20.09.07
	Granted
	ETP- matter is under process with PWD.

SWHS- under installation

RWHS- postpone due to high water table.

CFL-done

Plantation-done.


	Earlier granted authorization expired on 19.03.07 and applied for renewal on 12.04.10.
1.As decided on 02.03.09, Letter for full compliance. Unit attended personal hearing on 04.09.09 & as decided letter issued to submit compliance report alongwith   status w.r.t 5 points & other deficiencies communicated to the hospital within 15 days. The name of the hospital was included in the common D.O.Letter issued to Pr. Secy ( Health ) &  Pr.Secy ( PWD), GNCT Delhi for the compliance on the 5 points.

3. As decided on 25.11.09, hospital Inspected on 28.01.10. BMW management found satisfactory.


	CTE & Authorization granted.  Letter for        present status of compliance on 5 points etc within 15 days.


	Letter issued. Reply not received.
	Reminder.

	27.
	Institute of Human Behaviour & Allied Sciences, Near GTB Hospital, Dilshad Garden
	NE-003
	190
	Applied on 15.06.10
	Applied on 17.07.08
	Granted
	ETP not in operation since 4-5 months.

CFL-partially completed.

SWHS-Installed.

RWHS-pit provided.

Plantation- done
	1. As decided on 01.06.09, letter issued to the unit to file adequacy report from empanelled consultant of DPCC. Reply received on 13.07.09.

2. As per the decision on 04.09.09, letter issued to apply afresh for authorization and also to submit adequacy report for ETP.

3. Unit was Inspected on 12.02.10.

1.Mixing of BMW with general waste observed at the isolated site.

2.ETP not in operation since 4-5 months.

CFL-partially completed.

SWHS-Installed.

RWHS-pit provided.
3.Two DG sets of 625 KVA kept in acoustic enclosures. However, NMR submitted conducted by Sri Ram Institute which is not in prescribed limit.


	Show Cause Notice to M.S. of the hospital  for  refusal of Authorization..Unit to apply afresh for authorization & submit adequacy report for ETP..
	 SCN Issued.  Reply received on 05.05.10 regarding compliance report w.r.t. deficiencies.
	Call for personal Hearing in Next meeting.

	28
	Institute of Liver & Biliary Sciences, D-1, Vasant Kunj, New Delhi-70
	SW-177
	188
	Not Applied.
	Applied on 29.06.09
	Granted
	ETP- Installed

SWHS- Installed

RWHS-Installed

CFL-done

Plantation-done


	1.As per the decision on 04.09.09, Letter issued for seeking application for authorization under BMW Rules, Adequacy report for ETP, approved building plan for the second phase of the project along with the details of the total built  up area in both the phases of the project. Reply received on 16.02.10 along with Adequacy report of STP (not from empanelled consultant) and copy of receipt of the proposed building plan for second phase.


	Unit attended personal hearing on 24.02.10. Unit to submit CTE for Phase 2 of the project & adequacy report for installed ETP within a month.
	Letter issued. Adequacy report of ETP has been submitted from DTU.
CTE for phase 2 not submitted. 
	Letter seeking application for authorization for present Hospital (Phase –I) & for CTE for Phase –II .  

	Sl No.
	Name and Address of HCU
	Distt. No.
	Bed (No.)
	Authorization Status
	CTO Status 
	CTE Status 
	Status on 5 Points 
	Brief Status
	Decisions taken in the meeting on 02.03.10


	ATR/ Status
	Decisions taken in the meeting on 15.06.10

	29
	Guru Nanak Eye Centre, Maharaja Ranjit Singh Marg , New Delhi
	C-003
	184


	Not applied for renewal
	09.03.09
	Granted
	1. SWHS: under process

2. RWHS: under process

3. ETP: installed

4. CFL: under process

5. PLANTATION: done
	1.Earlier Authorization expired on 18.02.10. 

2.As decided on 28.11.08 Reminder letter for CTE, ETP and Rain Water Harvesting System and confirmation of installation of Solar Water Heating System was issued.

3.The unit attended personal hearing on 27.04.09. The unit is advised to set up ETP, CFL, Rain Water Heating System & Solar Water Heating System within a period of two months. Letter issued. 

4. Reply received on 08.06.09 stating that matter has been taken with PWD.

5. As per the decision on 04.09.09, The name of the hospital was included in the common D.O.Letter issued to Pr. Secy ( Health ) &  Pr.Secy ( PWD), GNCT Delhi for the compliance on the 5 Points. Unit was asked for Environmental Clearance for the upcoming building / project.

6. As per the decision on 25.11.09, Reminder issued to the unit. Reply received dated 13.01.10 and informed that matter is under process with PWD. EC report has not been received from PWD regarding upcoming building projects so far.

	CTE granted.  Letter seeking fresh application for authorization, present status of compliance on 5 points etc within 15 days
	CTE issued.Letter issued. Reply not received.
	Reminder.

	30


	Charak 
Palika Hospital,  Moti Bagh ,  New Delhi-21
	ND-003
	150


	Applied on 09.11.09
	Applied on 06.02.09
	Applied on 04.02.09
	ETP- Installed

SWHS- Installed

RWHS-Installed

CFL-done

Plantation-done


	1. As per decision taken on 02.03.09, D.O. Letter issued from MS,DPCC to MS of Hospital with copy to Chairman, NDMC, for rectification of the deficiencies observed during the inspection and monitoring and fresh monitoring report for incinerator. Unit to file compliance report, on the five points mentioned in our earlier letters.
2. As per decision taken on 02.03.09 and 27.04.09, D. O. Letters Issued on 23.03.09 & 14.05.09 from MS DPCC to MS of the Hospital, seeking full compliance report & fresh monitoring report of Incinerator.

3. Director (M.S) of the hospital attended personal hearing on 04.09.09. The unit will apply afresh for Authorization and also submit compliance report alongwith   status w.r.t 5 points & other deficiencies communicated to the hospital within 15 days.  Reply dated 20.10.09 received w.r.t said letter , regarding measures taken however monitoring report for incinerator was not submitted.

4. As per the decision on 25.11.09, Letter issued seeking compliance status. Copy of High Court Order dated 28.10.09 in W. P. (C) No. 6377/2004, was also sent for compliance. Reply received dated regarding measures taken being taken.


	M.S. of the Hospital  be directed  to stop the use of  incinerator / close down the incinerator  and  outsource for the treatment and disposal of the Bio-Medical Waste through CBWTF Hospital to submit adequacy report of the ETP Installed & status report w.r.t 5 points. 
	Letter issued. Reply received.

1.Incinerator has been closed and BMW outsourced for treatment through CBWTF.

2.Adequacy report for ETP submitted from GGSIPU.
	CTE Granted. 

	Sl No.
	Name and Address of HCU
	Distt. No.
	Bed (No.)
	Authorization Status
	CTO Status 
	CTE Status 
	Status on 5 Points 
	Brief Status
	Decisions taken in the meeting on 02.03.10


	ATR/ Status
	Decisions taken in the meeting on 15.06.10

	31.
	A & UTibbia College Hospital, Karol Bagh, New Delhi-5
	C-007
	150
	Not applied for renewal
	Applied on 28.09.06 (three years lapsed)
	Applied on 18.11.08


	1. SWHS: under process

2. RWHS:under process

3. ETP:under process

4. CFL: almost done

5. PLANTATION: done
	 Earlier Authorization expired on 30.05.10.

1.Unit attended personal hearing on 04.09.09. The unit was asked to submit compliance report alongwith   status w.r.t 5 points & other deficiencies communicated to the hospital within 15 days. Also the name of the hospital was included in the common D.O.Letter was issued to Pr. Secy ( Health ) &  Pr.Secy ( PWD), GNCT Delhi for the compliance on the 5 points. Letter was issued to the unit.  Reply received dated 28.10.09 regarding measures taken/ being taken.

2. As per the decision on 25.11.09, Letter issued seeking present status of compliance and fresh application for CTO. 
	Reminder
	Letter issued. Reply not received.
	CTE Granted.

Letter seeking fresh application for CTO & Authorization.Also seek present status of compliance w.r.t  5 points. 

	32.
	Central Jail

 Hospital, Tihar, Delhi
	W-005
	150
	Applied on 24.06.09.
	Not Applied
	Not Applied
	1. SWHS: installed

2. RWHS: installed

3. ETP: installed

4. CFL: done

5. PLANTATION: done
	1. As decided in the meeting on 18.03.08 letter for deficiencies was issued on  25.04.08  including seeking application for Consent to Establish under Air & Water Acts 

2. As per the decision on 04.09.09, Letter issued  for rectification of the deficiencies observed during the inspection. Reply received dated 27.10.09 regarding measures taken/ being taken.

3. Representatives of the hospital attended personal hearing on 25.11.09 and informed that they deal with the matters related to BMW management & rest of the issues pertain to Jail Administration. Letter issued to DIG Prisons for personal hearing in next meeting.


	DIG of the Jail attended personal hearing on 24.02.10. Ask for CTE, CTO & Adequacy report for STP (alongwith details of STP)  and also seek compliance report on 5 points within 15 days.  
	Letter issued . Applied for Authorization but not for CTE, CTO and reply received.
	Reminder for CTE, CTO etc.

EE BMW to talk to the concerned person.

	33.
	ESI Hospital, Shree Maa Anandmayi Marg, Okhla phase-1, New Delhi- 20
	S-012
	150
	Applied on 22.10.07
	Not applied
	Applied on 04.06.09
	ETP-  Exempted 

SWHS- under process

RWHS- under process

CFL-under process

Plantation-done
	1. As per the decision taken on 02.03.09, Unit attended personal hearing on 27.04.09. Issue of non lifting of BMW was taken up with the operator (M/s Synergy Waste Management Pvt. Ltd.) and Letter of DHS dated 24.02.09 was forwarded to the unit.

2. Decision on 27.04.09: Unit came for personal hearing. He promised to apply for CTE by tomorrow. SWHS installed. RWHS and CFLs will be installed by 25.05.09. ETP is not required since effluent of the Hospital is going into the CETP, Okhla which is 60-70 yards from the hospital. Letter was issued.

3. As per the decision on 04.09.09, Reminder issued for CTO.

4. Inspection of Hospital  was carried out on 02.06.10. During the inspection, following were the observations:

a. Segregation of BMW was found satisfactory.

b. Bio hazards symbol were provided on the container.

c. Sharp management found satisfactory.

d. Colour coded bags were provided.

e. CFl, RWHS, SWHS.- Under process

	Unit attended personal hearing on 24.02.10. Inspection & Call for Personal Hearing in next meeting.


	Letter issued. Hospital inspected on 02.06.10
	Representative of the hospital attended the personal hearing on 15.06.10. CTE granted. They will apply for CTO for existing hospital and also submit present status w.r.t remaining things within 15 days. They will apply for Environmental Clearance for the new/ proposed construction for hospital.

	Sl No.
	Name and Address of HCU
	Distt. No.
	Bed (No.)
	Authorization Status
	CTO Status 
	CTE Status 
	Status on 5 Points 
	Brief Status
	Decisions taken in the meeting on 02.03.10


	ATR/ Status
	Decisions taken in the meeting on 15.06.10

	34.


	Majeedia Hospital, Jamia Hamdard, IHMMR Campus, Hamdard Nagar, New Delhi-110 062
	S-009
	136
	Applied for renewal on 12.03.10
	Applied on 08.10.07
	Granted
	1.ETP-Tender awarded.

2.RWHS-partially completed.

3.SWHS-installed

4. CFL-done.

5.Plantation-done.


	Earlier authorization was expired on 07.03.10.

1. As per the decision taken on 27.04.09, letter issued for rectification of deficiencies observed during the inspection.

2. As per the decision on 01.06.09, reminder letter issued. Reply received on 30.07.09 regarding measures taken/ being taken.

3. As per the decision on 04.09.09, Letter issued for  seeking status w.r.t 5 points. Reply received dated 29.09.09 and informed that SWHS, RWHS and ETP is under process. CFL and Plantation is done.

4.As per the decision on 25.11.09, Letter issued seeking present status w.r.t 5 Points etc.

	CTE granted.

Letter seeking fresh application for authorization, interim report alongwith  present status of compliance on 5 points etc 
	CTE issued. Letter issued. Applied for renewal of authorization.
	Letter seeking present status w.r.t 5 points.

	35.
	Aruna Asaf Ali Hospital, 5 Rajpur Road, Delhi
	N-005
	100
	Applied for renewal on 24.05.10
	Applied on 18.09.07


	Granted
	ETP-under process with  PWD.

2.SWHS-installed.

3.RWHS-cannot be installed as rocky soil.

4.CFL-done

5.Plantation-done


	Earlier authorization on expired on 30.01.10

1.D. O. Letter issued to MS of the Hospitals for rectification of the deficiencies observed during the inspection by the team of Dr. T.K. Joshi by 25.05.2009, with copy to Pr. Secy. (Health), Govt. of Delhi and PS to Minister for Health, Govt. of  Delhi.

3.Replies received on 01.07.09, 17.06.09 regarding measures taken/ being taken alongwith copy of Noise Monitoring report for DG Set(s).

4. As per the decision on 04.09.09, The name of the hospital in the common D.O.Letter issued to Pr. Secy (Health) &  Pr.Secy ( PWD), GNCT Delhi for the compliance on the 5 Points. 

5. As per the decision on 25.11..09, Letter seeking present status w.r.t  5 points etc.

	CTE granted.

Letter seeking fresh application for authorization, present status of compliance on 5 points etc 


	CTE issued. Letter issued. Applied of authorization.

	Authorization Granted. Letter seeking present status w.r.t 5 points. Inspection.

	36.


	Sanjay Gandhi Memorial Hospital, Mangolpuri ,Delhi


	NW-012
	100
	Applied on 22.05.09
	Applied on 19.03.09
	Applied on 04.06.10
	1. SWHS:under process

2. RWHS: under process

3. ETP: installed 

4. CFL:done

5. PLANTATION: done
	1. As per the decision taken on 28.11.08, letter issued for CTE within one month, installation of ETP within three months and to submit an affidavit regarding change in bed number and also apply afresh for renewal of authorization.

2. The unit came for personal hearing and as decided letter was issued to apply for Consent to Establish within one week. It has already installed solar water heating system and STP for which adequacy report was asked. Rain water harvesting system, CFL and plantation will be done within one month. The unit was also asked file fresh authorization application under BMW Rules.

3. As per the decision taken on 01.06.09, reminder issued for CTE and asks for interim report on Compliance of other points. Compliance report received on 20.07.09 regarding 5 points stating matter with PWD.

4. As per the decision on 04.09.09, Reminder letter issued.

	Unit attended personal hearing on 24.02.10. Letter seeking application for CTE, Adequacy report for ETP and compliance report w.r.t. 5 points.
	Letter issued.
Applied for CTE. Adequacy report for ETP not received.
	CTE Granted. Reminder for Adequacy report for ETP & for present status w.r.t 5 points.

	Sl No.
	Name and Address of HCU
	Distt. No.
	Bed (No.)
	Authorization Status
	CTO Status 
	CTE Status 
	Status on 5 Points 
	Brief Status
	Decisions taken in the meeting on 02.03.10


	ATR/ Status
	Decisions taken in the meeting on 15.06.10

	37.


	Lal Bahadur Shastri Hospital, Khichripur, Delhi.
	E-002
	100


	Applied for renewal on 28.04.10 
	Applied on 28.12.07
	Granted


	1. SWHS: installed

2. RWHS: under uprocess with PWD

3. ETP:  under uprocess with PWD

4. CFL: done

5. PLANTATION: done
	Earlier authorization was expired on 30.05.10.

1. D.O. Letter issued on 23.03.09 and 14.05.09 to MS of Hospital with copy to Pr. Secy. (Health) GNCT Delhi, for rectification of the deficiencies observed during the inspection and monitoring. Unit was also asked to submit fresh monitoring report for incinerator and to file compliance report, on the five points mentioned in our earlier letters.

2. As decided on 01.06.09, letter issued for full compliance. Replies received on 13.07.09 and 05.08.09 regarding submitted fee for fresh monitoring report for incinerator to empaneled lab of DPCC.

3. As decided on 04.09.09, CTE granted. The name of the hospital was included in the common D.O.Letter issued to Pr. Secy ( Health ) &  Pr.Secy ( PWD), GNCT Delhi for the compliance on the 5 Points . Letter issued to the hospital seeking  compliance report including monitoring report w.r.t the earlier letters. Reply received dated 09.11.09  regarding correction of deficiencies and regarding ETP and RWHS, matter taken up with PWD.

4. As decided on 25.11.09, D.O. Letter  issued to Pr.Secy (PWD), referring previous D.O. Letter. Copy of High Court Order dated 28.10.09 in W. P. (C) No. 6377/2004,  was sent to M.S. of the hospital ,for compliance. Reply received on 24.12.09 along with NMR of DG set, Flue Gas Analysis report and Ash Analysis Report conducted by GGSIPU on 26.08.09 and Fresh Monitoring report for incinerator submitted conducted by GGSIPU on 11.11.09, parameters meeting the standards. However, VOC (0.02 %) in Ash was not meeting the standards.


	Letter to Hospital to provide present status of compliance on 5 points etc and also fresh monitoring report for incinerator after taking corrective measures within a month.
	Letter issued. Reply not received.
	Reminder

	38.
	Nehru Homeopathic Medical College, Defense Colony, New Delhi-24


	S-013
	100
	 Not applied for renewal.
	Not applied for renewal
	Granted
	1.ETP-estimation approved.

2.SWHS- estimation approved.

3.RWHS-estimation approved.

4. CFL-under progress

5. Plantation- in progress.
	Earlier authorization was expired on 07.03.10.

1. The representative of the unit attended personal hearing 29.01.09. The unit was asked to submit reply on all the five points by 02.03.2009. 

2. As decided on 01.06.09, reminder issued for full compliance.

3. As decided on 04.09.09, The name of the hospital was included in the common D.O.Letter issued to Pr. Secy ( Health ) &  Pr.Secy ( PWD), GNCT Delhi for the compliance on the 5 Points  

4. As decided on 25.11.09, Letter seeking  present status of compliance w.r.t 5 points etc.


	Letter seeking fresh application for authorization & CTO , present status of compliance on 5 points etc within 15 days


	letter issued. Reply received. 

1.ETP-estimation approved.

2.SWHS- estimation approved.

3.RWHS-estimation approved.

4. CFL-under progress

5. Plantation- in progress.
	Reminder for application for renewal of   CTO & Authorization.

	Sl No.
	Name and Address of HCU
	Distt. No.
	Bed (No.)
	Authorization Status
	CTO Status 
	CTE Status 
	Status on 5 Points 
	Brief Status
	Decisions taken in the meeting on 02.03.10


	ATR/ Status
	Decisions taken in the meeting on 15.06.10

	39.
	Ayurvedic Hospital, MCD, Haiderpur, Delhi-52
	NW-008
	100
	Applied on 14.11.07
	Applied on 27.10.08
	Granted 
	1.SWHS & CFL- work will be started in few days.

2.RWHS-tendering work in process.

3.Plantation-done
	1. Hospital was called for personal having 27.04.09 and as decided letter was issued on 03.07.09 for Rain Water harvesting System and Solar Water Heating System.

2. Reply received on 20.07.09 and informed that the compliance is under process.

3. As decided taken on 01.06.09, letter issued for compliance on Rain Water Harvesting System and Solar Water Heating System.

4. As decided n on 04.09.09, letter issued for status w.r.t 5 points.

5. As decided on 25.11.09, Reminder for remaining points issued.


	Letter seeking  present status of compliance w.r.t remains points., within 15 days

.
	Letter issued. Reply received.

1.SWHS & CFL- work will be started in few days.

2.RWHS-tendering work in process.

3.Plantation-done


	Inspection w.r.t. BMW etc.

	40.
	Babu Jagjeevan Ram M

memorial Hospital, Jahangirpuri, Delhi-33
	NW-009
	100
	 Applied for renewal on 07.03.10
	Applied on 27.09.07
	Granted
	1.ETP-under process.

2.RWHS-under PWD.

3.SWHS- installation complete

4.CFL-done

5.Plantation-done


	1. Unit attended personal hearing. SWHS, RWHS and conversion to CFLs to be done by 25.02.09. ETP to be installed within three months. Also ask the unit to file permission from DJB for ground water drawl, accordingly letter issued.

2. DO letter issued on 26.05.09 from MS to the hospital for rectification of deficiencies by 25.05.09 with a copy to P. Secy. (Health), GNCTD and PS to Minister for Health.

3. As decided on 04.09.09 the name of the hospital was included in the common D.O.Letter issued to Pr. Secy ( Health ) &  Pr.Secy ( PWD), GNCT Delhi for the compliance on the 5 Points.  

4. As decided on 25.11.09, Letter issued seeking present status w.r.t 5 points etc..


	Letter seeking fresh application for authorization, present status of compliance on 5 points etc within 15 days


	letter issued. 

Reply received:

1.ETP-under process.

2.RWHS-under PWD.

3.SWHS- installation complete

4.CFL-done

5.Plantation-done
	Authorization granted. Letter for present status w.r.t 5 Points.

	41.
	Rao Tula Ram Memorial Hospital, Jafferpur, Delhi
	SW-003
	100


	Applied for renewal on 07.03.10
	Not applied 
	Not Applied
	ETP-work is under process

SWHS-letter submitted to PWD.

RWHS-installed.

CFL-letter written to PWD.

Plantation-matter taken with horticulture deptt.
	1. As decided on 29.01.09, the hospital was asked, not to operate incinerator in view of broken scrubber and the facts that outsourcing of the Incinerable Bio-Medical Waste is being done successfully through Operator of Common Bio-Medical Waste Treatment Facility. Unit was asked to file compliance report, on  the five points mentioned in our earlier letters

2. As decided on 02.03.09, Reminder letter seeking compliance report for the deficiencies communicated to the hospital issued. The name of the hospital was included in the common DO letter from Chairman, DPCC to Pr. Secy. (health) and Pr. Secy. (PWD).

3. Another DO letter was issued on 14.05.09 for compliance report. Letter received on 05.08.09 regarding lifting of BMW of RTRM Hospital.

4. As decided on 04.09.09, letter issued for personal hearing and also the name of the hospital was included in the common D.O.Letter issued to Pr. Secy ( Health ) &  Pr.Secy ( PWD), GNCT Delhi for the compliance on the 5 points.

5. Representative of the hospital attended personal hearing on 25.11.09. Issue D.O. letter issued from M.S.DPCC to Pr.Secy (Health) with copy to M.S. of the hospital, mentioning deficiencies and also for not operating the incinerator installed at the hospital.

	MS of the hospital  attended personal hearing on 24.02.10. Unit to submit application for CTE, CTO and compliance status on 5 points. 


	 Letter issued. Reply received, informing that the incinerator of the hospital has not been functioning as per the instruction of DPCC.

2.ETP-work is under process

3.SWHS-letter submitted to PWD.

4.RWHS-installed.

5.CFL-letter written to PWD.

6.Plantation-matter taken with horticulture deptt.
	Reminder for CTE & CTO . Also seek present status w.r.t 5 points.


	Sl No.
	Name and Address of HCU
	Distt. No.
	Bed (No.)
	Authorization Status
	CTO Status 
	CTE Status 
	Status on 5 Points 
	Brief Status
	Decisions taken in the meeting on 02.03.10


	ATR/ Status
	Decisions taken in the meeting on 15.06.10

	42.
	Guru Gobind Singh Govt. Hospital, Raghubir Nagar, New Delhi-27
	W-006
	100
	Applied on 11.06.10
	Applied on 19.12.07.
	Granted


	1. SWHS: installed

2. RWHS: under process

3. ETP: under process

4. CFL: done

5. PLANTATION: done
	1. M.S of the hospital attended personal hearing on 04.09.09. The unit was asked to submit compliance report alongwith   status w.r.t 5 points & other deficiencies communicated to the hospital.  The name of the hospital was included in the common D.O.Letter issued to Pr. Secy ( Health ) &  Pr.Secy ( PWD), GNCT Delhi for the compliance on the 5 points. Reply received dated 27.10.09 informing that matter with PWD.

2. As decided on 25.11.09, Letter issued seeking present status w.r.t 5 points etc.


	Letter seeking fresh application for authorization, present status of compliance on 5 points etc within 15 days


	Letter issued. 
	Authorization Granted. Letter seeking present status w.r.t ETP & RWHS.

	43.
	ESI Hospital, Sector-15. Rohini, Delhi-85
	NW-010
	100
	Applied on 05.10.07
	Applied on 18.07.08
	Granted
	1. SWHS: proposals received and are being processed.

2. RWHS: Estimates received & are being vetted.

3. ETP: Estimate received. Time asked upto 31.03.10.

4. CFL: will be completed soon.

5. PLANTATION: done
	1.The unit came for personal hearing on 01.06.09. It was observed that the person was from the ESI hospital and he is taking up the matter with headquarters & nothing concrete was found. A letter was sent to unit to depute a responsible person from headquarter for giving proper commitments regarding the progress of work.  Call for personal hearing in next meeting. Letter issued.

3. M.S of the hospital attended personal hearing on 04.09.09. D.O letter issued from M.S DPCC to DG,ESI highlighting the issues & for compliance  w.r.t 5 points. 

4. As decided on 04.09.09, Reminder issued from MS.DPCC to DG ESI.


	D.O Letter from Chairman, DPCC to DG.,ESI.
	Letter issued. Reply not received.
	Reminder D.O. to DG ESI with copy to Medical Commissioner.

	44
	Maharishi Balmiki Hospital, Pooth khurd , New Delhi-39
	NW-011
	100
	Not applied for renewal
	Granted 

(valid upto 03.10.10)
	Granted
	SWHS under process.

RWHS not require since water table is 5.20 mtr.

CFL replacement is done in phase manners. 

ETP is already installed 


	Earlier authorization was expired on 30.01.10.

1. As decided on 02.03.09, the hospital was asked to file adequacy report for ETP, For Rain Water Harvesting System, and hospital to contact CGWA.

3. As decided on 01.06.09, Ask the unit to file adequacy report of ETP and permission from DJB for ground water extraction as per new orders. Unit to submit  CGWA opinion on Rain Water Harvesting System and ground water drawl.  

4. As decided on 04.09.09, letter issued with clarification for adequacy report. Reply received dated 28.10.09 regarding measures taken/ being taken. Water analysis report submitted.

5. As decided on 25.11.09, Letter issued seeking present status including adequacy report for ETP.

	Letter seeking fresh application for authorization, present status of compliance on 5 points etc .Also seek Adequacy Report of ETP & status w.r.t  RWHS  within 15 days.


	Letter issued. Reply received;

SWHS installed.

RWHS not require since water table is 5.20 mtr.

CFL- under process

ETP- installed, water analysis report from DPCC submitted.
	Letter seeking application for renewal of authorization.

	Sl No.
	Name and Address of HCU
	Distt. No.
	Bed (No.)
	Authorization Status
	CTO Status 
	CTE Status 
	Status on 5 Points 
	Brief Status
	Decisions taken in the meeting on 02.03.10


	ATR/ Status
	Decisions taken in the meeting on 15.06.10

	45.
	G.L. Maternity Hospital (MCD) , Ajmeri gate, Kamla Market, Delhi-6


	N-006
	97 + 10
	Applied for renewal on 19.04.10
	17.06.08.
	Granted
	1.ETP- Hospital has forwarded to its requirement of ETP to engineering deptt.

2. SWHS-installed

3. RWHS- is incorporated under the annual plan

4. Plantation: horticulture deptt has implanted the plans.
	Earlier authorization was expired on 30.05.10.

1. As decided on 02.03.2009, letter for full compliance issued.

2. Letter issued for full compliance. Reply received, asked for exemption for ETP.

3. As decided on 01.06.09, letter issued for confirm the status about the ETP. Letter received on 10.07.09 stating exemption for ETP.

4. As decided on 25.11.09, Letter issued for deficiencies observed. Also asked for installation of ETP since having more than 100 beds and to apply for CTE for  extra beds & Environmental Clearance  ,if area of the proposed  expansion + existing area is more than 20000 Sq.Meter. 
5.Reply dated 16.01.10 regarding correction of deficiencies. Also informed that, the hospital has not created any extra 10 beds of NICU but the existing beds have been redistributed for is total availability i.e. 97 beds. Area is less than 20,000 sq. meter. No provision of ETP/ STP.

	Letter for deficiencies & mention the decision of DPCC Board meeting on 09.02.09.Also seek compliance w.r.t 5 points.
	Letter issued. 

Reply received:

1.Hospital has forwarded to its requirement of ETP to engineering deptt.

2. SWHS-installed

3. RWHS- is incorporated under the annual plan

4. Plantation: horticulture deptt has implanted the plans.
	Authorization Granted. Letter for present status & compliance  w.r.t. 5 points.

	46
	Moti  Nagar Hospital 

(Acharya Bhikshu Hospital), Govt. of Delhi, Moti Nagar, Delhi-15
	W-015
	81
	Not applied for renewal 
	Applied on 02.06.09.
	02.06.09
	1. ETP-under process with PWD.

2. SWHS-will be installed by March, 2010.

3. RWHS-installed.

4. CFL-will be completed by Feb,10.

5. Plantation-Letter sent to Horticulture deptt.
	1. M.S of the hospital attended personal hearing on 04.09.09.  The unit will  inform the present status w.r.t disposal of bio medical waste within 15 days.  Letter issued. Reply received dated 30.10.09 and informed that the Bio medical waste is managed by Synergy Waste management.

2. As per the decision on 25.11.09, Letter for compliance on 5 points.
	CTE  & Authorization granted.

Letter seeking  present status of compliance on 5 points etc within 15 days


	Letter issued.


	Reminder. Also  ask to apply for renewal of authorization 

	47
	Shri Dada Dev Matri Avum Shisu Chikitsalya,Dabri, New Delhi-110045
	SW-171
	64


	Applied on 12.03.09
	Not applied.
	Granted
	1.ETP-perposal submitted to PWD.

2. SWHS-installation is under process.

3.RWHS-installed

4.CFL-done

5.Plantation-done.
	1. As per the decision on 04.09.09, letter issued for Seeking CTE & CTO & also status of compliance. Reply received, regarding measures taken/ being taken. No information about CTE/ CTO.

2. As per the decision on 25.11.09, Letter for  present status and reminder for CTE/ & CTO


	CTE granted.

Final reminder for CTO ,also  ask for status of compliance w.r.t. 5 points.


	Letter issued. Reply received regarding 5 points.

1.ETP-perposal submitted to PWD.

2.SWHS-installation is under process.

3.RWHS-installed

4.CFL-done

5.Plantation-done.
	Reminder seeking  application for CTO & present status w.r.t 5 points.

	Sl No.
	Name and Address of HCU
	Distt. No.
	Bed (No.)
	Authorization Status
	CTO Status 
	CTE Status 
	Status on 5 Points 
	Brief Status
	Decisions taken in the meeting on 02.03.10


	ATR/ Status
	Decisions taken in the meeting on 15.06.10

	48.
	Vallabhai Patel  Chest Institute, University of Delhi, PO-Box.No-2101, Delhi-7
	N-007
	60
	Applied for renewal on 26.05.10
	Granted (valid upto 09.09.10)
	Granted
	1.ETP-Functioning from 30.09.09.

2.SWHS- Installed

3.RWHS-not feasible due to very shallow water table.

4.CFL-done

5.Plantation-Done.
	Earlier authorization was expired on 30.01.10.

1. As per decision taken on 02.03.2009, A letter was sent to clarify about the position of ETP. CGWA should be approached regarding rain water harvesting system and installation of Solar Water Heating System.

2. Unit attended personal hearing on 04.09.09. It was informed that ETP & SWHS will be installed by September 2009.The unit was asked to submit compliance report in this regard along with   adequacy report for ETP by October 2009. 

3. As decided on 04.09.09, Reminder issued for present status issued.


	Letter seeking fresh application for authorization, present status of compliance on 5 points etc within 15 days

Also send suitable reply for RWHS.


	Letter issued. Applied  for authorization. Status on 5 points not submitted.
  
	Authorization granted. Letter seeking adequacy report for ETP installed.

	49


	MCD Chest Clinic and Hospital, Nehru Nagar, New Delhi- 65
	S-236
	55
	Not applied for renewal
	Applied on 18.09.09
	Granted
	1.RWHS- under PWD.

2.SWHS-will be consider,

3.CFL- partially completed. 


	Earlier authorization was expired on 30.01.10.

1.  As per the decision on 04.09.09, letter issued to clarify the things and also asked for CTE & CTO. Reply received dated 20.10.09 regarding measures taken/ being taken.

2. As per the decision on 25.11.09, CTE granted. Reminder issued for remaining points. Another letter issued for installation of ETP as decided by DPCC in its board meeting held on 09.12.10.


	Final Reminder for remaining points.
	Letter issued. Reply received:

1.ETP: Action is awaited from SE MCD.

2. RWHS: Action is awaited from SE MCD.

3. SWHS: No requirements of hot water as the wards are under construction.

CFL: partially completed.

Plantation-done.


	Letter seeking application for renewal of authorization & present status w.r.t 5 points.

	Sl No.
	Name and Address of HCU
	Distt. No.
	Bed (No.)
	Authorization Status
	CTO Status 
	CTE Status 
	Status on 5 Points 
	Brief Status
	Decisions taken in the meeting on 02.03.10


	ATR/ Status
	Decisions taken in the meeting on 15.06.10

	50
	Dr. Shyama Prasad Mukherjee Chest Hospital, Patpar ganj, Delhi-91
	E-004
	52
	Not applied for renewal
	Valid upto 03.12.11
	Granted
	------
	Earlier authorization was expired on 07.03.10.

1.As per the decision on 01.06.09, unit was asked to correct the deficiencies observed during the inspection. Compliance report received on 09.07.09 regarding measures taken for rectification of deficiencies observed during the inspection.

2.As per the decision on 25.11.09, CTE & CTO Granted. Letter issued for installation of ETP as decided by DPCC in its board meeting held on 09.12.10.


	Letter for fresh application for authorization and for installation of ETP, SWHS ,RWHS, CFL &  , Plantation in the hospital.


	Letter issued, reply not received.
	Reminder.

	51.
	Dr. B.R. Sur Hemopathic College & Hospital, Nanakpura, Moti Bagh, New Delhi-22


	SW-038
	50
	Applied for Renewal on 24.12.09
	Granted (valid upto 23.10.10)
	Granted


	1.SWHS-not feasible in old block & in process of construction in new block.

2.RWHS under PWD

3. CFL-done

4.Plantation-done
	Earlier authorization was expired on 30.01.10.

1. As per the decision taken on 01.06.09, letter issued  to the unit to file status of compliance for CFL, Rain Water Harvesting System, and Solar Water Heating System along with waste water analysis report. Reply received on 14.07.09 stating that matter with PWD.

2. As per the decision on 04.09.09, Reminder issued for 5 points. Reply received dated 26.10.09 regarding measures taken/ being taken.

3. As per the decision on 25.11.09, Letter issued seeking present status on 5 points.

Reply dated 05.02.10 received along with wastewater test report from NPL


	Reminder Letter seeking present status of compliance on 5 points etc within 15 days


	Letter issued. Reply received:

1.SWHS-roof is made of asbestos sheets with having slop, not sustainable at the roof.

2.RWHS under progress

3. CFL-done

4.Plantation-done

	Inspection

	52.
	Sardar Valabh Bhai Patel Hospital, East Patel Nagar, New Delhi-8
	W-206
	50
	Applied for renewal on 10.06.09
	18.12.07
	Granted


	1.SWHS- under process

 2.RWHS -- under process
3. CFL- under process
4.Plantation- under process 
5. ETP-- under process
	Earlier authorization was expired on 30.05.10.

1. The representative of the unit came for personal hearing today. It assured that it will file a reply within a week.

2. As per the decision taken on 02.03.2009, Final reminder issued.

3. As per the decision on 01.06.09, letter issued for correction of deficiencies observed during the inspection. Noise monitoring report for DG Set submitted from Delhi Power Services & Co. and Reply received on 06.07.09 regarding measures taken/ being taken for rectification of deficiencies.

4. As per the decision on 04.09.09, Well drafted reminder letter issued.

5. Another letter issued for installation of ETP as decided by DPCC in its board meeting held on 09.12.10.

	Unit attended personal hearing on 24.02.10. CTE granted. Letter, asking for installation of ETP, also seek compliance status w.r.t. SWHS (with capacity), RWHS, CFL & Plantation. Unit to submit NMR for DG set within a month.
	Letter issued. A letter received for request to issue Authorization.

A copy of letter received address to PWD for installation of ETP.


	Authorization granted.

Letter seeking present status/ compliance w.r.t. 5 points.

	Sl No.
	Name and Address of HCU
	Distt. No.
	Bed (No.)
	Authorization Status
	CTO Status 
	CTE Status 
	Status on 5 Points 
	Brief Status
	Decisions taken in the meeting on 02.03.10


	ATR/ Status
	Decisions taken in the meeting on 15.06.10

	53.
	Northern Railway Divisional Hospital, S.P. Mukherjee Marg, Delhi-6
	C-010
	50
	Applied for renewal on 29.04.10
	Granted (valid upto 18.11.10)
	Granted. 

 
	-------
	Earlier authorization was expired on 07.03.10.

1.Earler deficiencies were observed :-

· Log book of BMW not maintained.

· Agreement with CBMWT expired.

·  currently waste found stored in storage area for quite some time.

· Sharp waste management not proper.

2. As decided on 29.09.08, letter was issued for correction of deficiencies observed on 17.09.08. 

3. Reply received vide letter dated 10.11.08 & informed that corrective measures taken.

4. Another letter issued for installation of ETP as decided by DPCC in its board meeting held on 09.12.10.

	Letter for fresh application for authorization and for installation of ETP, SWHS ,RWHS, CFL &  , Plantation in the hospital.


	Letter issued. Authorization application received. Status on 5 points not received.

	Authorization granted.

Reminder for present status/ compliance  w.r.t 5 points.

	54..


	Palika Maternity Hospital, Lodhi Colony , New Delhi-3
	S-018
	50
	Not applied for renewal 


	 Not applied
	Granted


	1.ETP-case is initiated.

2.SWHS-installed.

3.RWHS-case has been initiated.

4.CFL-done.

5.Plantation-done.


	Earlier authorization was expired on 30.01.10.

1. As per the decision taken on 02.03.09, D.O. Letter issued from MS DPCC to MS of Hospital with copy to Chairman, NDMC, for rectification of the deficiencies observed during the inspection and monitoring, Unit was asked to submit fresh monitoring report for incinerator issued.

2. Reply received and informed that incinerator was not operational these days and presently the BMW through disposing operator of CBMWTF.

3. M.S of the hospital attended personal hearing on 04.09.09.It was informed that incinerator is not being operated, for D.G set acoustic provided. Noise Monitoring Report to be submitted. The unit was asked to apply for CTO & submit compliance report w.r.t deficiencies communicated to the hospital, within 15 days.  Unit is directed to close down incinerator & outsource for disposal of BMW. Letter issued.

4. As per the decision on 25.11.09, Reminder issued seeking compliance report within 15 days. Another letter issued for installation of ETP as decided by DPCC in its board meeting held on 09.12.10.

	M.S. / Representative of the hospital presented their case before the Committee when visited the office on 24.02.10. The hospital will apply afresh for authorization & CTO and  also install ETP as decided by DPCC. Hospital to install SWHS ,RWHS, CFL &  , Plantation in the hospital and submit Noise Monitoring report for DG Set.


	Letter issued. Reply received.

1.Renewal of authorization is under process.

2.ETP-case is initiated.

3.SWHS-installed.

4.RWHS-case has been initiated.

5.CFL-done.

6.Plantation-done.


	Reminder Letter seeking compliance report w.rt. ETP Etc , to apply for renewal of authorization & for CTO and to submit  Noise Monitoring Report for DG Set.

	Sl No.
	Name and Address of HCU
	Distt. No.
	Bed (No.)
	Authorization Status
	CTO Status 
	CTE Status 
	Status on 5 Points 
	Brief Status
	Decisions taken in the meeting on 02.03.10


	ATR/ Status
	Decisions taken in the meeting on 15.06.10

	55
	International Centre for Genetic Engineering & Bio Tech, ICGEB  Campus, P.O. Box  10504, Aruna Asaf Ali Marg, Delhi -67.
	SW-054
	Nil
	Applied for renewal on 11.06.08
	Applied on 11.07.08
	Applied on 11.07.08

 
	ETP-installed.
Rest of things not asked.
	1.Monitoring report for incinerator conducted by GGSIPU on 03.07.09 received, VOC in ash (0.02 %) was not meeting the prescribed standards. 

2. As per the decision on 04.09.09, Unit attended personal hearing on 04.09.09. The unit was asked to submit compliance report w.r.t deficiencies communicated to the hospital along with Adequacy Report for STP, within 15 days.  Reply received dated 22.10.09 and 17.11.09 regarding measures taken/ being taken. Also test certificate of Effluent discharge and Stack gas emission of incinerator submitted conducted from Shri Ram Institute.

3. As per the decision on 25.11.09, well drafted letter issued for deficiencies. Also Copy of High Court Order dated 28.10.09 in W. P. (C) No. 6377/2004, was sent for compliance.

Reply dated 04.02.10 informed that Incinerator has been stopped and availing the services of M/ s Metro Bio Care Services (CBWTF) w.e.f.14.01.10


	Letter seeking Adequacy Report for STP & copy of agreement with CBWTF.
	Letter issued Reply received and informed that they are in process to obtain Adequacy report.
	CTE Granted.Letter seeking adequacy report for STP.

	56. 
	National Institute of Communicable Diseases,   22, Sham Nath Marg , Delhi-54
	N-093
	NIL
	Applied for renewal on 02.03.10
	Applied on 02.03.10
	Applied on 02.03.10
	Not ask for 
	1. Incinerator closed, BMW disposal through operator of CBMWTF.

2. As per the decision on 04.09.09, letter issued seeking application for  CTE, , CTO & Authorization

3. As per the decision on 25.11.09, Final reminder issued. Reply received and informed that they have outsourced with Synergy Waste Management Pvt. Ltd. for BMW disposal.

	Reminder for CTE,  CTO & fresh application for Authorization


	Application for CTE, CTO, Authorization submitted.
	CTE, CTO & Authorization Granted.

	57
	National Institute of Immunology, Aruna Asaf Ali Marg, New Delhi-67
	S-149
	Nil
	applied for renewal on 17.03.10 
	Applied on 13.02.09
	Granted


	ETP-asked to install
	Earlier authorization was expired on 30.04.10.

1. As per the decision on 01.06.09, Issue reminder letter for full compliance. Reply received regarding outsourcing of BMW to M/s Metro Bio-Care Services Pvt. Ltd.

2. As per the decision on 04.09.09, Reminder letter issued to apply afresh for authorization under BMW Rules and also seek compliance w.r.t deficiencies communicated to the unit. Unit to provide acoustic enclosure and submit noise monitoring report for DG Sets. Reply receive d dated 12.11.09 and informed that bio medical waste is managed by Metro Bio Care services. Noise monitoring report of DG set submitted conducted by DPCC on 03.11.09, meeting with the norms.

3. As per the decision on 25.11.09, CTE granted.  Inspected on 11.02.10.

· Incinerator closed down since July 2009.

· Dead animals are kept in deep freezer and disposal through CBWTF.

· BMW management found satisfactory.

	Letter for installation of ETP
	Letter issued. Reply not received.
	Reminder.

	Sl No.
	Name and Address of HCU
	Distt. No.
	Bed (No.)
	Authorization Status
	CTO Status 
	CTE Status 
	Status on 5 Points 
	Brief Status
	Decisions taken in the meeting on 02.03.10


	ATR/ Status
	Decisions taken in the meeting on 15.06.10

	58
	NDMC Veterinary Hospital, Moti Bagh, New Delhi. 
	SW-069
	NIL
	Applied on 19.03.07 (three years lapsed)
	Not applied 
	Not applied 
	Not asked for
	1. As decided on 01.06.09, unit Inspected on 17.08.09, following deficiencies were observed:

· Temperature in Primary and Secondary Chambers of incinerator not found within the prescribed standard.

· Proper Temperature recording System (Graphic Recorder or some computerized control system), needs to be provided.

· No segregation of waste found. There is common bin for all type of wastes.

· BMW management not found as per BMW rules.

· Colour coding not followed.

· Bio-hazard symbols not provided on storage bins.

· Isolated storage site for BMW not provided.

· Records maintained for incinerable BMW. Sharp waste management provided.

3.As per the decision on 04.09.09, Letter issued for CTE, CTO & for correction of the deficiencies observed during the inspection. Unit was also submit monitoring report for the incinerator from any of the empanelled laboratories of DPCC. Reply received dated 05.11.09, regarding measures taken/being taken.

4. As per the decision on 25.11.09, Letter for present status and ask for monitoring report of incinerator. Copy of High Court Order dated 28.10.09 in W. P. ( C) No. 6377/2004, was sent for compliance

5.. Reply received on 04.01.10 regarding correction of deficiencies.  Fresh Monitoring report for incinerator not submitted.

	Incharge of the Hospital be directed  to stop the use of  incinerator / close down the incinerator  and  outsource for the treatment and disposal of the Bio-Medical Waste through CBWTF . Also ask the hospital to apply for CTE, CTO & submit fresh application for authorization
	Letter issued. Reply  received. Informed regarding closure of incinerator.
	Reminder seeking application for authorization & CTO.

	59
	Pandit Madan Mohan Malviya Hopital, Govt. of Delhi, Ne Delhi-17
	SW-066
	70
	Applied on 11.04.08
	Not applied 
	Not Applied
	----------
	The Hospital was inspected on 16.11.09 & deficiencies were observed during the inspection. It was found that the hospital is having 70 beds.

2.As decided in BMW-committee no. 2, SCN was issued to the hospital. A reply was received and it was informed that the total strength of beds are 70 and accordingly fees of authorization has been submitted. The unit has asked to PWD for NMR of the DG sets and installation of treatment & recycling plant.


	Since the hospital is having 70 beds, the case has been transferred from BMW Committee no. 2 to BMW Committee no. 1. 
	----------
	Letter for  installation of ETP, SWHS, RWHS, CFL, Plantation within 3 months  & also for submission of application for CTE & CTO within 30 days..


Annexure 3

Decisions taken  w.r.t  Agenda No. 4 - Regarding (i) Study on the Lead (ii) An Exploratory Study of Mercury Exposure in Delhi, by BMW Committee No. 1, in the meeting held on 15.06.10.  
 (i) Action Taken Report w.r.t Study on the Lead
      Earlier in meeting on 08.02.08, It was decided that a study has to be done of the      quantum of lead used in Delhi and is likely adverse impact on the citizen of Delhi. Such      study will reveal the appropriate strategy for handling and containing the   effect of lead on      the health of the city.  Based on study further necessary action   will be taken. Information      sought by Dr.T.K.Joshi was sent.

   
(ii) Action Taken Report w.r.t Study on the Effect of Mercury Waste 

      In the meeting on 08.02.08 , it was decided that a formal study on  the effect of Mercury       Waste on  the citizens of Delhi will be done since as informed by Dr.T.K.Joshi,  no such      study in Delhi has been carried out earlier. Dr. T.K. Joshi will submit a proposal. The      proposal will also look at the appropriate technologies for disposal of Mercury waste in the          city.Information sought by Dr  T.K.Joshi  was  sent .

      Decision Taken in the Meeting of BMW Committee No. 1, on 06.05.08 

Dr. T.K. Joshi to submit the proposals for both the studies (i) Study on the lead & (ii)  Study onthe Effect of Mercury Waste , within the month of May, 2008.

     Action Taken : Letters issued to Dr. T.K. Joshi for the proposal for both the studies (i)       Study on the lead &  (ii) Study on the Effect of Mercury Waste.                               

     Separate  proposals for  both the studies, received from Dr. T.K.Joshi , were placed         before the Committee 

     Decision Taken in the Meeting of BMW Committee No. 1, on 13.06.08

     Both the proposals  received from Dr. T.K.Joshi  may be examined by Dr. Chetna Harjai,      Scientist , Deptt.of  Environment and put up  by 14.07.2008.

    Action  Taken  w.r.t decision taken  on 13.06.08
     Copy of both the Proposals were given to Dr. Chetna Harjai in the meeting on 13.06.08.      Her  comments are awaited. 

    Decision Taken in the Meeting of BMW Committee No. 1, on 14.07.08

    Put up on file for administrative decision. 

    

    Action  Taken  w.r.t decision taken  on 14.07.08
    Concerned  files  after getting the proposals for both the studies were  submitted  however     not returned back then. 

    Decision Taken in the Meeting of BMW Committee No. 1, on 27.08.08

    Both files to be procured & submitted administratively within a week.
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  Action  Taken  w.r.t decision taken  on  27.08.08 :

  Regarding (i) above as decided earlier by the Committee the proposal on Lead was    examined   by Dr. Chetna of Deptt.of Env. & Submitted to Chairman, DPCC. It is learnt from   Ms Kamna   that the said matter/ file was marked to her & as directed by Chairman she has    to speak to   Chairman, DPCC on the said matter. 

  Regarding (ii) Above, Proposal received from Dr. T.K.Joshi for Study on the   effect of    Mercury waste, Finance Deptt. of Govt. of NCT Delhi has given its concurrence . 

 

Decisions Taken in the Meeting of BMW Committee No. 1, on 29.09.08 : 

      

 (i) Since Finance Deptt. of  Govt. of NCT Delhi has given its concurrence on the Proposal        received from Dr. T.K.Joshi for Study on the   effect of  Mercury waste, further action is        to be taken by Dr.T.K.Joshi. 

 (ii) Regarding the proposal received from Dr.T.K.Joshi  on the study on Lead the matter to        be decided administratively on  file. 

 Action  Taken  w.r.t decision taken  on  29.09.08 :

Regarding (i) above, a letter has been received from Dr.T.K.Joshi requesting for the release of payment to start the work.

Regarding (ii) above as decided on file by Chairman, DPCC, a letter has been issued to Dr..T.K.Joshi seeking his response on the points raised by the Deptt of Environment, GNCT Delhi on the proposal received from Dr.T.K.Joshi.

Decision Taken by BMW Committee No. 1 in the Meeting Held on 30.10.2008:
Action will be taken administratively.

 Action  Taken  w.r.t decision taken  on  30.10.08 :

Regarding (i) above, as decided the matter has been put on file for administrative decision for the release of payment to start the work for Study on the   effect of    Mercury waste.

Regarding (ii) above as decided on file by Chairman, DPCC, a letter was  issued to Dr..T.K.Joshi seeking his response on the points raised by the Deptt of Environment, GNCT Delhi on the proposal received from Dr.T.K.Joshi on the study on lead. Response waited.

Decision Taken by BMW Committee No. 1 in the Meeting Held on 28.11.2008:
               File be submitted administratively.

 Action  Taken  w.r.t decision taken  on  28.11.08 :

               File submitted administratively.

Decision Taken by BMW Committee No. 1 in the Meeting Held on 29.12.2008:
File to be submitted administratively.  

Action  Taken  w.r.t decision taken  on  29.12.08 :

File submitted administratively. 
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Decision Taken by BMW Committee No. 1 in the Meeting Held on  29.1.2009:

File to be submitted administratively.  

 Action  Taken  w.r.t decision taken  on  29.01.09 :

File submitted administratively. 

Decision Taken by BMW Committee No. 1 in the Meeting Held on 02.03.2009

 File to be submitted administratively.

 Action  Taken  w.r.t decision taken  on  02.03.09 :

File submitted administratively. 

Decision Taken by BMW Committee No. 1 in the meeting held on 27.04.2009

             File to be submitted administratively.

               Action  Taken  w.r.t decision taken  on  27.04.09 :

File was submitted administratively. Work awarded for “ Exploratory study of Mercury exposure in  Delhi”  and  Rs 7.25 Lakh has been released to  COEH in this regard.

Regarding proposal for study on Lead, Terms of Reference has been prepared and has been sent to Dr.T.K.Joshi of COEH.
             Decision Taken by BMW Committee No. 1 in the meeting held on 01.06.2009



Regarding study on Lead, wait for the response of COEH.
              Action  Taken  w.r.t decision taken  on  01.06.2009 :

Point wise reply  dated   18.07.09   has been received from Dr. T.K.Joshi,  requesting  additional amount of Rs. 22 Lakh towards purchase of lead monitoring equipments  .                                              

             Decision Taken by BMW Committee No. 1 in the meeting held on 04.09.2009



Dr. T.K.Joshi will consult DPCC lab regarding lead monitoring equipment and  put up               administratively after getting the response from Dr.T.K.Joshi.
 Action Taken w.r.t decision taken  on  04.09.2009 :

Response from Dr. T.K Joshi is awaited.
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Decision Taken by BMW Committee No. 1 in the meeting held on 25.11.2009

(i) Study / matter  related  with   Batteries (Management and Handling) Rules,      2001, w.r.t letter received from CPCB, to be dealt separately.

(ii) Dr. T.K Joshi will submit fresh proposals for the study related to lead. 

Action Taken w.r.t decision taken  on  25.11.2009 :

(i) Regarding (i) above  a note has been sent to R& D Cell of DPCC.

(ii)Regarding (ii) above a letter was sent to Dr. T.K.Joshi seeking fresh proposals for the study related to lead.and response is awaited.

Decision Taken by BMW Committee No. 1 in the meeting held on 02.03.2010

Dr. T. K. Joshi to submit revised proposal for the Study on Lead in consultation with officials of Department of Environment, GNCTD. 

Action Taken w.r.t decision taken on 02.03.2010:
           

1. Regarding above a letter was sent to Dr. T.K.Joshi on 27.04.10 seeking fresh proposals for the study related to lead and response is awaited.
2. Regarding “An Exploratory Study of Mercury Exposure in Delhi”, a letter was received from Dr. T. K. Joshi dated 07.05.10 regarding not getting the information from some of the hospitals. In this regard a letter was issued to seven such hospitals for providing the information/ documents to the investigator of COEH.
Decision Taken by BMW Committee No. 1 in the meeting held on 15.06.2010

It was informed by Dr. T. K. Joshi that revised proposal for the Study on Lead has been prepared and will be submitted soon.
 (Dharmendra) 
(Dr.A.K.Ambasht)
(Dr.T.K.Joshi)

Chairman,DPCC 
                     M.S.,DPCC   
   COEH, MAMC      

 ( D.K.Singh )      
                 (K.Kumar )                                     (M. I. Siddiqui)

  EE ( BMW) 
                    AEE ( BMW)                                 AEE ( BMW)                  
Annexure 4

Decisions taken by BMW Committee No. 1 in the meeting held on 15.06.10 w.r.t Agenda No 5 - : Mercury Waste Disposal in Health Care Facilities, in Delhi.

Regarding safe disposal plan for  collected mercury  in the Hospital , a letter has been received from Toxics Link.

A letter has also been received from Dr. T.K.Joshi of COEH, MAMC, regarding fixing a deadline for phasing out mercury based Equipments ( Thermometers & B.P. Measuring Apparatus etc ) in Health Care Facilities ,Delhi. 

The matter was dealt by the Environment  Department, GNCT Delhi, and as decided the said issues / matter is to be placed before BMW Committee No.1 , for taking appropriate decision. 

Decisions Taken by BMW Committee No. 1 in the meeting held on 15.06.2010

i. Regarding safe disposal plan for collected mercury in the Hospital, Dr. T. K. Joshi will submit proposals.

ii. Individual letters to be issued to the hospitals having 50 beds or more, for phasing out of mercury based Equipments (Thermometers & B.P. Measuring Apparatus etc ) by 30th September, 2010 and to submit an affidavit in this regard by 7th Oct, 2010. 
 (Dharmendra)
                             (Dr. A. K. Ambasht)                       (Dr.T.K.Joshi)

  Chairman,DPCC                         M.S.,DPCC                                   COEH, MAMC                         

 ( D.K.Singh )                    (K.Kumar )                                  (M. I. Siddiqui)       
  EE ( BMW)                      AEE ( BMW)                               AEE ( BMW)                  

Annexure 5
Decisions taken w.r.t Agenda No. 6 - Regarding Common Bio-Medical Waste Treatment Facility at Ghazipur by BMW Committee No. 1, in the meeting held on 15.06.2010. 

            The Case of M/s SMS Envoclean Pvt. Limited, was earlier placed before the Committee as decided in file. Earlier the application for Consent to Establish received from the unit was refused vide letter dated 25.06.07, as decided by BMW Committee in its meeting held on 22.06.07. The said decision was taken after the inspection of the site by the team of officials from CPCB, DPCC and DHS and also considering the comments received from CPCB regarding the site proposed for the said facility at Ghazipur. 

             A letter was issued to Member Secretary, CPCB on 23.01.09 after the meeting of Chief Secretary, Delhi on 26.12.08. Chief Secretary of GNCT of Delhi in the said meeting desired that CPCB may be approached to allow setting up of CBWTF at Ghazipur as there is a need for CBWTF for East Delhi.

             In response to the said letter, CPCB has sent letter dated 11.02.09. In the said letter CPCB has referred Rule 7 of BMW Rules regarding DPCC is the prescribed Authority for enforcement of provisions of BMW Rules. For specific views of CPCB on the subject, information e.g. Feasibility Report, Base Line Data, Location Map recommendations of DPCC, Expenditure and other details have been sought.

              The matter was discussed in the meeting of BMW Committee No1 on 02.03.2009, and it was decided that Member Secretary, DPCC will write a letter to CPCB referring the earlier letters of CPCB on the subject.

               A letter as decided by the Committee was issued on 24.04.2009 to Member Secretary, CPCB. In response to the said letter, CPCB has submitted a reply dated 19.5.2009 wherein they have stated that while selecting a site for CBWTF, guidelines of CPCB as well as baseline data of proposed site w.r.t. ambient air quality and ground water quality for relevant parameters be taken into account. CPCB has also stated that the proposed site at Ghazipur (approx. 0.25 Acres) is about 300 meters away from residential flat and a mosque (sensitive area) is located at a distance of 80 meters from the site. CPCB has also stated that the proposed site is located on a part of Ghazipur Municipal landfill. CPCB has stated that views of CPCB on the proposed CBWTF at Ghazipur, Delhi be considered.


     A letter has been received from the Office of Chief Minister, Delhi on 15.05.2009 wherein RWA has submitted a representation regarding setting up of CBWTF at Ghazipur. In the representation forwarded by Chief Ministers Office, there is also a mention of Kitchen Waste Treatment Plant at Ghazipur. As a slaughter house of MCD has already been constructed, the matter might pertain to MCD, which is being dealt by MSW Cell..

Decisions Taken by BMW Committee No. 1 in the Meeting Held on 01.06.2009

File to be Put-up administratively.

Contd…2 
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Action Taken Report w.r.t Decision Taken in the Meeting Held on 01.06.2009

File was put up and as decided , a letter has been issued to Directorate of Health Services regarding feasibility study for the CBWTF at Gazipur. A complaint of Resident Welfare Association of DDA Flats Gazipur, through the  Office of Chief Minister , has been received. regarding  CTF etc. 

Decisions Taken by BMW Committee No. 1 in the Meeting Held on 04.09.2009

Inspection by MSW Cell of the site regarding CTF etc w.r.t complaints received.

Action Taken Report w.r.t Decision Taken in the Meeting Held on 04.09.2009

Response from MSW Cell awaited.
Decisions Taken by BMW Committee No. 1 in the Meeting Held on 25.11.2009

          MSW Cell to expedite the inspection.         
Action Taken Report w.r.t Decision Taken in the Meeting Held on 25.11.2009

 1.The site  was inspected by Trainee Engineers of MSW Cell on 10.02.2010 w.r.t above mentioned     complaint received from RWA of DDA Flats Gazipur & following are the observations

(i) No, proposed Common Bio Medical Waste Treatment Facility (CBWTF) & CTF Facility are not found at the site.

(ii) However, the complaintee (Sh Chaudhary Santram, President RWA ,DDA Flats, Gazipur Dairy Farm, Delhi )  want to complain about the waste to Energy Project of Govt. of NCT of Delhi.

(iii) The proposed Waste to Energy project & DDA Flats, Ghazipur Dairy Farm are bisected by 30 Feet Road. Therefore, the complaintee want to shift the abovementioned project at some other place.

(iv)The boundary wall is being constructed; however, no construction work has been initiated at the site. 

          2. Directorate of Health Services is yet to submit their response w.r.t letter issued  on              27.08.09, regarding feasibility study for the CBWTF at Gazipur.

Decisions Taken by BMW Committee No. 1 in the Meeting Held on 24.02.2010.

(i) Regarding complaint received & inspection carried out by MSW Cell, further course of action to be taken by MSW Cell considering the observations made by the inspection team.

(ii)Regarding issues/ matter related to CBWTF at Ghazipur w.r.t. minutes of the meeting of Chief Secretary, GNCTD dated 26.12.08, the matter to be put up administratively.

Contd…3 
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   Action Taken Report w.r.t Decision Taken in the Meeting Held on 24.02.2010.

Regarding issues/ matter related to CBWTF at Ghazipur w.r.t. minutes of the meeting of Chief Secretary, GNCTD dated 26.12.08, the matter was  put up administratively and case was apprised to the Chief Secretary regarding  not to insist for additional CBWTF at Gazipur in Delhi considering the fact that Delhi is having required no of CBWTFs( 4 Nos at present )  and also considering the land scarcity in Delhi, particularly in Trans Yamuna Area.

Decisions Taken by BMW Committee No. 1 in the Meeting Held on 15.06.2010.

No Action

 (Dharmendra)                      (Dr. A. K. Ambasht)                        (Dr.T.K.Joshi)        Chairman,DPCC                    M.S.,DPCC                                   COEH, MAMC                         

 ( D.K.Singh )                    (K.Kumar )                                         (M. I. Siddiqui)       

  EE ( BMW)                      AEE ( BMW)                                     AEE ( BMW)                  

Annexure 6
Decisions taken w.r.t Agenda No. 7 - Regarding Electronic Waste Management in Delhi by BMW Committee No. 1, in the meeting held on 15.06.2010.
Following is the brief regarding the matter / issues  related with Electronic Waste Management in Delhi :   

 (i ) Decisions taken in the meeting of DPCC on 08.01.2008: “ The  comments on the draft guidelines of CPCB on E-Waste Management shall be sent to MOE&F and CPCB. A study on E-Waste generated in Delhi to be conducted by DPCC through open tender regarding the quantum of  e-waste generated and its impact.” 

Comments on the draft guidelines of CPCB on E – Waste Management were sent to MOEF and  CPCB on 01.02.2008 

(ii) As decided in the meeting on 26.07.07, Expression of Interest (EOI) was prepared  for inviting proposals for  conducting a study on Quantum of E-waste generated and its impact on  human Health  --- Further course of action is to be decided for the EOI prepared / for the said Study. 

(iii)Ministry of Environment & Forest ,Govt. of India , has notified the Guidelines for Environmentally Sound Management of E-Waste in March,2008. As per these guidelines, waste shall be tackled by enforcing the Hazardous  Waste (Management & Handling) Rules. These guidelines stress upon the recycling of E-Waste. Chapters 5, 6 & 7 of the Guidelines give a detailed description of Environmentally Sound Management Techniques for E-Waste. These Guidelines envisage that environmentally sound E-Waste treatment technologies are used at three levels, namely :  1st Level treatment , 2nd Level treatment & 3rd Level treatment. All the three levels of E –Waste treatment are based on material flow.  The material flows from 1st level to 3rd level. Each level treatment consists of unit operations where E-Waste is treated and output of 1st level treatment serves as input to 2nd level treatment. After the 3rd level treatment, the residues are disposed of either in TSDF or incinerated.

(iv) Following  decisions were   taken by CMC (MSW) in its meeting held on 28.02.08  :  “ Sh  A.N. Singh, Scientist, Department of Environment along with the DPCC officials will prepare Expression of Interest (EOI) for electronic waste for five processes i.e. Collection & Transportation ,dismantling ,extracting the valuable metal, recycling the valuable metal and disposal of the non recyclable metal and submit the file within 30 days.” Later on , in the meeting of CMC(MSW) on 12.05.08, it was decided that Transaction Advisor to finalize EOI. MS to pursue”.

(v) Decisions taken  in the meeting of DPCC on  15.05.08 :  “ Transaction advisor will advise the Department  of Environment and DPCC on the Expression of Interest (EOI) to be floated in the news papers for getting the required response for outsourcing this activity to private operators on the lines of BMW”.
EOI was prepared  and was published in Hindustan Times & Dainik Jagran on 23.05.08, inTimes of India & Nav Bharat Times on 27.05.08 and in Hindustan Times & Dainik Jagran on 15.06.08, inviting  EOI / proposals on “ E-Waste Management Project in Delhi “. 41 EOIs / 

Proposals  were received within the given period i.e. 30.06.08 and as decided  the same were sent to Deptt of Environment / Sh A.N.Singh , Scientist, DOE, in a separate file,  for further action.  Later on as decided  by DPCC on 15.05.08 , the same were sent to Transaction Advisor , for examination of outsourcing this activity to private operators on the lines of BMW the response in this regard is awaited . The said file / response of Deptt. of  Environment is   awaited.   
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                     It is also to point out here that “Hazardous waste processing viz. hospital / medical / industrial waste “  is mentioned at S.No.46 in the list of  Prohibited / Negative List of Industries ( Annexure III ) of MPD 2021. However in the Note at the end of said list mentions that a public utility service involving any of the activities mentioned in the  said list shall be permitted subject to environmental laws.     

  --- Further course of action is to be decided for the 41  EOIs / Proposals received   for the  E-Waste Management Project in Delhi.

(vi) Earlier , as per the decisions taken by the Local Area Environment Committee ( LAEC )( at page 75-76 /C) , letters were sent to Director General Foreign Trade (DGFT) seeking details of the E-waste imported in Delhi  and also for  a ban on the import of second hand electronic items ,equipments, particularly the computers and allied objects ,in the country ,  

In response to the said letters  DGFT has sent letters / replies and informed that Import of E-Waste  is restricted as per the existing Foreign Trade Policy & DGFT is the competent authority to issue licenses for the restricted items on the recommendation of concerned Departments. Letters were issued to DGFT  with request to consider a  ban on the import of second hand electronic items ,equipments, particularly the computers and allied objects ,in the country, however there is no response from DGFT in this regard.

As per the decisions taken by the  LAEC , a letter was issued to the Member Secretaries of 4 SPCBs viz.  Karnataka, Tamil Nadu , Maharashtra & Andhra Pradesh on 12.10.06(at page  98 /C ) followed by a reminder letter on 13.11.06.(at page 956 /C ) seeking details of E-Waste management in their States. Response was received from Karnataka  & TamilNadu.

(vii)A letter dated 09.07.09 was received from the Chairman CPCB, regarding implementation of Hazardous Waste ( Handling , Management & Transboundary Movement ) Rules ,2008 & Environmentally Sound Management of E-Waste . In the said letter , Schedule IV of  said Rules has been referred which covers the E-Waste component : “ Components of waste electrical and electronic assembles comprising accumulators and other batteries included on list A, mercury switches, activated  glass cullets from cathode – ray tubes and other activated glass and PCB-capacitors, or any other component contaminated with 

Schedule 2 constituents (e.g. cadmium, mercury ,lead, polychlorinated biphenyl ) to an extent that they exhibit hazard characteristics indicated in part C of this Schedule.” 

It is also informed by CPCB that it has registered recyclers (now 12 Nos ) for Environmentally Sound Management of E-Waste and for processing of various components electrical & electronic equipments. It is mentioned in the said letter that E-Waste being generated is not reaching to these recyclers in totality. CPCB has requested to ensure that all the generators and producers of E-Waste ,within Delhi, comply with the provisions of the HW (M,H & TM) Rules, 2008 concerning E-Waste and auction E-Waste only to the Recyclers registered with the CPCB for its processing and recycling in an environmental friendly manner.
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(viii)There are 12 Recyclers / Reprocessors  having Environmentally Sound Management Facilities ( E-Waste Reprocessors)  registered with  CPCB . From the perusal of the said list there are three Recyclers in the Northern India viz. 1. M/s Earth Sense Recycle Pvt. Ltd., Plot No. 225,Sector  - VI , Gurgaon , Haryana , 122051     2. M/s   Attero Recycling Pvt.Ltd. , 173,Village Bhagwanpur , Raipur Industrial Area, Roorkee, Distt. Haridwar, Uttrakhand &  3. M/s  TIC Group India Pvt. Ltd., J-2 and J-6, SDF Block – J , Noida Special Economic Zone ( NSEZ) Noida Dadri Road, , Noida – 201305.(U.P.).  Rest 9  units are located in other parts of India , four in Karnataka , two in Maharashtra, two in Tamilnadu & one unit in Andhra Pradesh .

(ix) A presentation was given by the  representatives of M/s   Attero Recycling Pvt.Ltd. before the Secretary (Env)Cum Chairman, DPCC on 21.08.2009. Representatives of the said Recycler shown various photographs /pictures of the plant & machineries installed at the  facility at Roorkee and also explained the various processes involved and pollution control measures taken by the Recycler.It was informed by the representatives of the Recycler that they have approached MNCs & Corporate Sector and some of them have also tied up with the Recycler for disposal of their E-waste. The representatives shown their keen interest in collecting the E-Waste from Delhi .

(x)Meetings were taken by the Chairman, DPCC with the Officials of NDMC, MCD, NDPL, BSES , Env.Deptt, DPCC and both the Recyclers of E-Waste in Northern India  on 13.10.09  , 23.11.09 ,02.02.10 & last meeting was held on 08.02.10 with the representatives of the 10 Schools identified for the installation of the bins for the collection/ storage of the electronic waste items  and they have agreed to install the bins for the said purpose. MCD & NDMC have also agreed to provide space / identify sites for placing such storage bins for the electronic waste items.  Attero Recycling Pvt.Ltd has given the design of such storage bins.

(xi)Letters have been issued  by DPCC to IT Companies / other Electronic Waste generating units / Hospitals (50 beds or more) / Hotels (5 & 4 star ) etc., for the disposal of electronic waste through the registered recyclers with Central Pollution Control Board.

lity in Delhi is one of the Action  Point for DPCC ,mentioned in the Delhi Climate Change Agenda 2009- 2012.

(Task – Treatment of Electronic Waste Facility ,  Objective ----  To set up a electronic waste treatment facility in Delhi in collaboration with NGOs and other players active in this. To set up a treatment facility in Delhi where use of computers and other electronic products is increasing. , Target – 2009--- None at present but is done in informal sector with hazard to health., Target in 2012 ---  100 % treatment facility.)

(xiii) Environment Pollution (Prevention & Control ) Authority ( EPCA ) for NCR called the meeting  on 19.02.2010 on the various issues involving waste management including  status of handling and disposal of Electronic Waste & Mercury waste in Delhi. After the discussions, it was directed by EPCA that DPCC will submit a status report / note  on the management of E-Waste (including battery waste ) in Delhi and Deptt. of Environment will prepare a policy regarding disposal of CFLs in Delhi . EPCA also directed DPCC to close down unauthorized electronic waste reprocessing units in non conforming areas / unauthorized areas particularly mentioning Shahdara area in Delhi.  Minutes of the said meeting of EPCA is awaited.
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(xii)Establishing Electronic Waste Management Faci

In this regard it is submitted that as per the orders of the Hon’ble Supreme Court  dated 07.05.2004,  units  in non-conforming areas in Delhi are closed by the Deptt of Industries.       

A news item “ DPCC told to take action against e-waste recyclers “ was published in Times of India  on 20.02.2010 and the same was placed before the Committee. 

In view of the above following are the points for decision :

(A)Further course of action is to be decided for the EOI prepared  for the study on Quantum of      E-waste generated in Delhi  and its impact.

(B)Further course of action is to be decided for the  41 EOIs / Proposals received w.r.t E-Waste      Management Project in Delhi.(including five processes i.e. Collection & Transportation     ,dismantling ,extracting the valuable metal, recycling the valuable metal and disposal of the            non recyclable metal )

(C)Regarding earlier request to DGFT for ban on the import of  second hand electronic items      ,equipments, particularly the computers and allied objects ,in the country.

(D)A Public Notice may be issued in Two English  ( Times of India & Hindustan Times & Two      Hindi (Nav Bharat Times & PunjabKesari)News Papers(in 100 CC size, at DAVP rates ) for      proper management and disposal of E-Waste  .

(E)A D.O. letter may be sent to Major Govt. Ministries / Govt. Deptts./ Organisations/      Institutions / Private Organisations / Institutions generating E-Waste, to ensure       proper management of E Waste & for disposal of E Waste only through any of the                        Registered Recycler / Reprocessor with CPCB / MOEF.

(F) Action to be decided  w.r.t the meeting of EPCA on 19.02.2010
(G)Action to be decided w.r.t  Climate Change Agenda of  Govt.of Delhi regarding Establish        ing Electronic Waste Management Facility in Delhi.

Decisions Taken by BMW Committee No. 1 in the meeting held on 24.02.2010 & 02.03.2010.

(i) A Public Notice on Electronic Waste Management is to be issued in various English & Hindi Daily News Papers & the same may also be published in one Urdu News Paper  .

(ii) Member Secretary, DPCC , to call three recyclers/ reprocessors of Electronic Waste in Northern Region of India, registered with Central Pollution Control Board, for discussions on the various issues.

(iii) A DO letter to be issued from Chairman DPCC to Commissioner Industries regarding stopping / closing down unauthorized Electronic Waste reprocessing units in non-conforming areas of Delhi.

(iv) Regarding rest of the issues, put up administratively in concerned file.
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Action taken report:

(i) A Public Notice was issued on 11.03.10.  Public Notice was again published on 06.06.10 as decided in file. 

(ii) A meeting of recyclers/ reprocessors of Electronic Waste in Northern Region of India,  was held on 12.03.2010 and the matter was put up in concerned file. 

(iii) A DO letter  has been issued  on 25.05.10 to Commissioner Industries regarding stopping/ closing down unauthorized Electronic Waste reprocessing units in non-conforming areas of Delhi.

(iv) Rest of the issues were  put up  in concerned file and action was taken as decided in the file:

a. A letter has been issued to Managing Director of Metal Scrap Trading Corporation. Ltd., on 25.05.10 regarding disposal / auction of the Electronic Waste only through registered recyclers with CPCB.

b. Secy ( Env)  cum - Chairman, DPCC , has issued D.O.Letters  to various  Govt. Deptts / Agencies for proper management & disposal of E-Waste. 

c. Meetings with DGFT (for banning the import of E-Waste) & Recyclers and Traders Associations are also to be held to discuss the issues / matters related with E-Waste. 
(v) A letter from CPCB dated 04.05.10 was received regarding illegal processing of e-waste in Seelampur area and, it has been requested to provide details of units operating in the area, engaged in the activity of dismantling/ processing of e-waste and also the action taken/ proposed to curb   the illegal activity.

It is informed that BMW has no records of such units. An inventorization of units engaged in the illegal recycling of e-waste is to be carried out as decided in the file. 

Decisions Taken by BMW Committee No. 1 in the meeting held on 15.06.10.

1. D. O Letter from Chairman DPCC to Secretary, Commerce, Govt. of India with copy to DGFT regarding ban on import of Electronic waste in India.
2. Campaign for awareness & for proper disposal of Electronic waste through recyclers registered with CPCB.
3. Rest of the issues to be dealt as decided in the concerned file.
 (Dharmendra)                      (Dr. A. K. Ambasht)                        (Dr.T.K.Joshi)            Chairman,DPCC                    M.S.,DPCC                                   COEH, MAMC                         

 ( D.K.Singh )                       (K.Kumar )                                        (M. I. Siddiqui)       

  EE ( BMW)                      AEE ( BMW)                                     AEE ( BMW)                  

Annexure 7

Decisions taken w.r.t Agenda No.8: Regarding Authorization of Dispensaries & PUHCs of DHSby BMW Committee No. 1, in the meeting held on 02.03.2010.

A file was received from the Health Deptt, alongwith a note from the Statistical Officer ,DHS  regarding streamlining the system of Authorization under BMW Rules, in respect of Dispensaries (216 at present) & PUHCs of DHS. Authorization is granted to individual Health Care Facility and authorization period varies from case to case .For fee etc concerned Health Care Facility(Dispensary)approaches DHS before filing the application for authorization to DPCC.   It is informed by DHS that it is a continuing process with tremendous work load on both sides DHS & DPCC.  Keeping in view the administrative & financial work load it was suggested by DHS that it would be in the fitness of the things if authorization process for all 216 dispensaries takes place once in a year say June after every three Years. A compact fee for all these dispensaries and SEED PUHCs  is proposed to be paid to DPCC after every three years in the month of June .

The said proposal was approved by the Pr. Secy ( H & F).
Thereafter the file was sent to DPCC by DHS 
The matter was considered by DPCC and it was found helpful in streamlining the whole thing related to authorization of Dispensaries/ PUHCs of DHS. The said proposal of DHS has been accepted by DPCC . As approved by the Chairman, DPCC,  DHS is required  to submit  separate applications (alongwith an Affidavit in Prescribed format in each case ) for each Dispensary / PUHCs along with the  Compact  fee of Rs  400 per Dispensary / PUHC for 3 years. (i.e. Rs 300 for 3 years ( @ Rs 100 per year ) for each Dispensary / PUHC +  Rs 100 for the Application form for each case) .

As decided in the said file (original file has been sent back to DHS), the said matter isplaced before the Committee for ratification of the decision taken in the file. 
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 Decisions Taken by BMW Committee No. 1 in the Meeting Held on 15.06.2010.

Decision taken in the file ratified by the Committee w.r.t. above proposal for the dispensaries & PUHCs of DHS.  

It was informed that another note has been received from DHS regarding common application and grant of simultaneous authorization to all the hospitals of Health Deptt of GNCTD. This was not agreed by the Committee since hospitals of Health Deptt. are quite large and there are no. of issues to be dealt w.r.t. pollution control laws and BMW Rules. Such cases are to be dealt individually since compliance status varies from hospital to hospital. A detailed note to be put up in this regard for sending to DHS.

 (Dharmendra)                      (Dr. A. K. Ambasht)                        (Dr.T.K.Joshi)

Chairman,DPCC                    M.S.,DPCC                                   COEH, MAMC                         

 ( D.K.Singh )                    (K.Kumar )                                  (M. I. Siddiqui)       

  EE ( BMW)                        AEE ( BMW)                                     AEE ( BMW)                  


