
MINUTES OF THE MEETING OF BMW COMMITTEE NO. 1 HELD ON 27.09.2011.

The following officials attended the meeting:-


1.  Sh. Keshav Chandra, Secy (Environment) Cum-Chairman,DPCC -- In Chair

2.  Dr. A.K. Ambasht, Member Secretary, DPCC                                -- Member   

3.  Dr. T. K. Joshi, COEH, MAMC                                                      -- Member

4.  Dr. Chetna Harjai , Scientist, Deptt of Env. GNCT, Delhi             -- Member

5.  Sh. D.K.Singh , Environmental Engineer (BMW),DPCC               -- Member 

6.  Sh. K.Kumar, AEE (BMW), DPCC                                                -- Member

The  meeting of the  BMW Committee No. 1,  constituted  for deciding  Authorization under the BMW Rules  and  Consent under the  Air / Water Acts was held on 27.09.2011. The Decisions Recommended by  the BMW Committee No.1 agenda wise , are as follows :  

1. Decisions Recommended w.r.t. Agenda No.1 (Total 5 Cases of Personal Hearing) are at S.No. 27        of Annexure 1 and at S.No  1, 33 , 43 ,  45 of Annexure 2. 
2. Decisions Recommended w.r.t. Agenda No 2 (63 Cases of Private Hospitals / CBWTFs / other      miscellaneous cases) are at Annexure 1. 

3. Decisions Recommended w.r.t. Agenda No 3 (Total 59 Cases of Govt. Hospitals      / Govt. Research Institutes) are at Annexure 2. 

4. Decisions Recommended w.r.t  Agenda No. 4 - Regarding  Report of  COEH , “ An Exploratory      Study of Mercury Exposure in Delhi are at  Annexure 3.
5. Decisions Recommended w.r.t  Agenda No. 5- Regarding Mercury Waste Disposal in Health      Care Facilities, in Delhi are at  Annexure 4
6. Decisions Recommended w.r.t Agenda No. 6 - Regarding Electronic Waste Management in      Delhi are at Annexure 5.

It was recommended by the Committee that a D.O.Letter from Chairman, DPCC to Secy(Health) Govt. of NCT Delhi may be sent with suggestion to constitute a dedicated Environmental Management Group headed by the Medical Superintendent / Medical Director of the hospital and consisting of other members e.g. Nodal Officer (BMW), Concerned Engineers from PWD, Nursing Staff to look after  the matters / related issues concerning with all the Pollution Control laws including BMW Rules , Air & Water Acts etc. for the hospitals having 100 beds or more. Similar DO Letters may also be issued to Secretary (Health & Family Welfare) Govt. of India, Commissioner MCD , Chairperson NDMC, Director General ESI for their hospitals.

A D.O. Letter from Chairman, DPCC to Secy(Health) & Secy(PWD) Govt. of NCT Delhi , may also be sent to call a joint  meeting of  all the concerned officials from the Hospitals (Medical Superintendents , Nodal Officers , PWD officials etc)to sort out the various issues related to construction/installation of Effluent Treatment Plant , Rain Water Harvesting System, Solar Water Heating System , replacement of ordinary bulbs with CFLs, Plantation of trees along the boundary / periphery of the Hospitals and also for submission of the  Consent to Establish/ Operate applications to DPCC under the Air & Water Acts. 

The meeting ended with a vote of thanks to the Chair.
                            ANNEXURE 1
DECISIONS  RECOMMENDED BY  BMW COMMITTEE NO.1 IN THE MEETING HELD ON 27.09.2011 W.R.T. AGENDA NO.2(63 CASES OF PVT.HOSPITALS/CBWTFs/OTHER MISCELLANEOUS CASES/ETC)
	   Sl.    NO.S.No
	Name and Address  of Unit 
	Authorization status
	Consent  Status
	Decision of the committee on 31-8-2007
	Action Taken  w.r.t Decision Taken on .31-8-2007 /  Remarks
	Decision of the committee  in the  Meeting  on 04-10-2007
	Action Taken w.r.t Decision Taken on 04-10.2007

	1.

	M/s Synergy Waste Management Pvt. Ltd.    Near Composite Plant, Sukhdev Vihar      Okhla, New Delhi-20.  


	 Applied for renewal of authorization on 11.08.09. (Authorization was granted/extended upto 31.07.11) 
	Applied for renewal of Consent on 19.11.09.Consent was granted/extended upto 31.07.11) 
	1. SCN under rule 7 of BMW Rules is issued for the following: 1. waste should not be kept in open. 2. ‘On Govt. Duty’ on vehicles should not be display. 3. Sludge dewatering device be provided with ETP.4. Manual mode on PLC should not be used. 5. Measures to control smell from BMW be taken. 6. Rota meter should be provided at PC &SC of incinerator.
	1.SCN has been issued on 03.09.2007

2. Inspection has been conducted on 27-9-2007.

 3. SCN u/s 5 of EP Act was issued by CPCB on 7-9-2007 after the inspection on 24-7-2007

4. Operator has submitted reply to both the notices mentioned above.

 5. The fact finding committee has been constituted by DHS for the complaints received from residents of Sukhdev Vihar and the representations received from the operators.

6. Letter issued to The Principal Secretary (Health) for allotment of alternative site.

7. Meeting of Committee constituted by Pr. Secy.(Health) GNCTD, was held on 24.10.07.

8. Authorization under BMW Rules & Consent to operate under Air Act granted to the Operator of CBMWT Facility was upto 06.11.2007.

9. Letter from CPCB dated: 05.10.07 to  CBMWT facility with directions for taking certain measures for the compliance of BMW Rules may also be perused.( Copy enclosed) 
	 The case was discussed in detail  & Show Cause Notice issued to the operator on 03.09.2007, Reply received from the Operator of the CBMWT and inspection carried out on 27.09.07, were also considered  and following decisions were taken :

(i) W.r.t deficiency “The Bio – Medical Waste should be kept in closed bins” mentioned in the said Notice, Reply is factually incorrect and the Committee has decided to issue Show Cause Notice for Closure of the Facility. 

(ii) Regarding  erasing of “ On Government Duty “ printed on the vehicles used for collecting BMW ,  the Committee accepts the reply.

(iii)  Regarding installation of Filter Press with the ETP for dewatering of sludge as mentioned in the said Notice, despite clear Notice the unit has not complied with the directions and given justifications which is not acceptable to the Committee. The Operator of the CBMWT Facility is once again directed to install Filter Press within three weeks and confirm through an Affidavit before next date of meeting of the Committee i.e on 15.11.2007.

(iv) Regarding “The manual mode of operation in the installed programmable Logic Control (PLC) based control system should be removed “  mentioned in the said Notice, Committee is not satisfied with the reply  and the Committee insists that Automatic System (PLC)  Should only be used as  mentioned in th CPCB Guidelines and an Affidavit should be filed by the Operator with in three weeks and he should comply with this direction before the next meeting of this Committee i.e. on 15.11.2007.To ensure that Operator of the said  CBMWT Facility, complies with this direction, the Operator of the Facility , will  submit a  Bank Guarantee of Rs. One Lakh ,  valid for Six month period , in favour of Delhi Pollution Control Committee, within three weeks along with the said Affidavit.

(v) Regarding “Necessary measures should be taken for controlling the smell generated from BMW within the facility “mentioned in the Notice, the Committee accepts the reply, however any discontinuance or irregularity in the action will result in filing of another Bank Guarantee of Rs. One Lakh valid for Six month period, in favour of DPCC, by the Operator of the said Facility.

(vi) Regarding “ Rota – meters and pressure gauges should be installed in the primary and secondary chamber of the Incinerator “ mentioned in the said Notice , the Operator of the said Facility has not filed factually correct reply since the Rota meter and pressure gauges not found installed during the inspection on 27.09.07. The Committee directs him to file an Affidavit after installation of Rota meters and Pressure Gauges, within three weeks.   
	Show Cause Notice u/s 5 of EPA issued on 12.10.07 for the decisions taken by the committee. Reply along with the affidavit received for the compliance of the decision taken by the committee. Informed that provided filter press, informed regarding never use of manual mode of operation in the installed PLC, and regarding installation of Rota meters and pressure gauges, lids provided to all BMW plastic containers and necessary measures taken to control the smell, display sign (on Govt. Duty have been erased, no segregation is done within the facility, records of BMW collection and   incineration / autoclaving are being maintained. Operator of the CBMWT requested for exemption from depositing the Bank Guarantee. As directed by Chairman DPCC letter issued on 07.11.07 informing that no exemption from Bank Guarantee is possible. Operator submitted the Bank Guarantee of Rs. One Lakh , valid for 6 months.

The Operator of the facility had requested for grant of authorization under BMW Rules since earlier granted authorization expired on 06.11.07.( Consent to operate also expired on 06.11.07.)



Decision  Taken by the Committee  in the  Meeting  on 15-11-2007:   Since  a complaint against this unit has been processed & submitted to Hon’ble Lt. Governor , Delhi, and since  its Authorization under BMW Rules & Consent  under the Air / Water Act , lapsed on 06.11.07 , full yearly authorization or 3 yearly authorization / consent under the said Rules / Acts is not possible under the circumstances. An interim extension of the  Authorization under BMW Rules and  Consent to operate under the Air / Water Acts , upto 31.12.2007, is granted by which time the status of the complaint will be decided. Meanwhile Member Secretary, DPCC, will speak to  Medical Deptt./ Directorate of Health Services & get the report of the Committee  set up by them for deciding on shifting  his location.
Action Taken Report w.r.t. meeting on 15.11.07:  (i) Authorization under BMW Rules and consent to operate under the Air & Water Acts extended upto 31.12.07. (ii)  Letter issued to the  Convenor of the Committee constituted for said operator seeking report of the committee. Report waited.   

(III) The operator has submitted a list of 8 units w.r.t the letter issued seeking the list of the units (drug mfg units) from which the operator is collecting BMW waste however the units not applied for authorization.. 
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Decision Taken by BMW Committee No. 1 in the Meeting Held on 15.01.2008 : “Both, the decision of Hon’ble Lt. Governor and the inspection report are not yet available on file. These reports may be expedited and put up on file formally through Member Secretary, DPCC and other members of the Committee to the Chairman. Since this may take 15 days, the authorization under BMW Rules and Consent to operate under Air & Water Acts may be extended for interim period of one month i.e. 31st January, 2008.”

Action taken w.r.t Meeting on 15.01.2008:  

In view of the above decision taken by the said BMW Committee No. 1, the extension of the Authorization under BMW Rules and Consent under the Air / Water Acts up to 31.01.2008, has been issued on 25.01.2008. Report of the Independent Committee received and  put up in file . As directed  by the Chairman, DPCC, the same is placed before the BMW Committee No.1 for the decision. 

Decision Taken by BMW Committee No. 1 in the Meeting Held on 08.02.2008 : 

The report of the Committee constituted by Pr. Secretary (Health) to enquire into the case of M/s Synergy Waste Management Pvt. Ltd. was placed before BMW Committee No-I today. The report is clear that in the long run it would not be advisable to keep the operation of Bio Medical Waste treatment facility at the existing premises at Okhla. Several options of alternate space were discussed. According to Dr. T.K. Joshi, there are three places which can be inspected and a decision can be taken in one of them which is free from all possible health hazards for operating such a facility. These are (a) Deen Dayal Upadhyaya Hospital, Hari Nagar, New Delhi (b) Rao Tula Ram Memorial Hospital, Jafferpur, Delhi & (c) Maharishi Balmiki Hospital, Pooth Khurd, Delhi. 

The above three premises may be inspected by a team headed by Dr. T.K. Joshi, Mr. D.K. Singh and the management of Synergey Waste Management Pvt. Ltd. so that an amicable solution could be found out. The report will be submitted on or before 29.02.2008. The authorization & consent of M/s Synergy Waste Management Pvt. Ltd. may be extended upto 29.02.2008 in view of the above and in the extension letter; one of the deficiencies noted would be communicated.  
Action Taken w.r.t Meeting on 08.02.2008:
(i) Authorization under BMW Rules and Consent to Operate under the Air & Water Acts extended upto 29.02.08 vide letter issued on   22 .02.08 & one of the deficiencies noted has       been communicated.

(ii)A letter dated 29.02.08,  was received from the director of M/s Synergy Waste Management Pvt. Ltd. requesting for extension of authorization under BMW Rules  for one year. As directed by      Chairman, DPCC, a letter has been issued to the said operator informing that the extension of authorization under the said Bio-medical Waste Rules, for a year, is not possible.       
(iii) A team headed by Dr. T.K.Joshi inspected the following three sites on 27.02.08 ;  1. Deen Dayal Upadhyaya Hospital, Hari Nagar, Delhi-64  2. Rao Tula Ram Memorial Hospital, Jafferpur, Delhi- 43.   3. Maharishi Balmiki Hospital, Pooth Khurd, Delhi-39 and report was submitted to Chairman DPCC in file. The team found that none of the above mentioned three sites of the  Hospitals are       suitable for the establishment of a Common Bio-Medical Waste Treatment Facility. As directed by the Chairman, DPCC, the matter is placed before the BMW Committee No.1.(iv) A letter dated 29.02.08, has also been received from the director of M/s Synergy Waste Management Pvt. Ltd., requesting to provide a copy of the said report of the team.

Decision Taken by BMW Committee No. 1 in the Meeting Held on 18.03.2008 :
(i) While Directorate of Health Services (DHS) , Govt. of NCT Delhi and the Private     Operator (M/s Synergy Waste Management Pvt. Ltd, Near Composite  Plant, Sukhdev  

     Vihar, Okhla, Delhi- 20.) will follow up with DDA for allotment of land for    the Common Bio Medical  Waste Treatment Facility  , this matter will be raised in the    list of issues to be taken up by      Chairman, DPCC with Vice Chairman, DDA.

(ii) Authorization under BMW Rules and Consent to Operate under the Air & Water Acts extended upto 30.04.2008.(iii)Operator must get the land organized by  himself or  through DDA.  
Action Taken w.r.t Meeting on 18.03.2008:

(i) Aforementioned decision taken by the BMW Committee No.1, was sent to CMC for inclusion in the list of issues to be taken up by  Chairman, DPCC with Vice Chairman, DDA.

(ii) Authorization under BMW Rules and Consent to Operate under the Air & Water Acts extended upto 30.04.2008 vide letter issued on 09.04.08 mentioning the aforementioned decision taken by the BMW Committee No.1 in the meeting held on       18.03.08. 
(iii) Copy of the said letter was also sent to Directorate of Health Services (DHS) , Govt. of NCT Delhi.
(iv) A letter dated 28.04.08 has been received from the director of M/s Synergy Waste Management Pvt. Ltd., requesting for extension of  authorization. Vide another letter dated 28.04.08 the Director of the unit has stated the back ground / brief of       the allotment of the said site by DDA to DHS for the said facility and also stated that the said site was inspected by officials of DHS, CPCB,  DPCC & COEH prior to its establishment. The said site is on the allotted land by DDA to DHS for       carrying out the activities of treatment and disposal of BMW. It is also mentioned that in the surrounding area is being used for waste management activities e.g. Okhla STP, MCD compost plant, NDMC waste to power project etc. It is mentioned       that DHS and DDA are in a better position to explain about the site that was already given to the operator or suggest an alternate site for  the treatment and disposal of BMW. It is also mentioned by the operator that whatever directions were given to       the operator, the same was complied and also enclosed the copy of stack monitoring report and water analysis report dated 19.09.07. showing parameters within the prescribed limit. It is also mentioned that the operator has approached DHS for       looking for an alternate land also. Requested for looking the matter sympathetically and for grant of authorization under BMW Rules and Consent to Operate under Air and Water Act.

v. A representation has been received from the residents of Sukhdev Vihar, DDA flats regarding health hazards due to treatment of large quantity of BMW at the said plant of CBMWTF. Near the residential area of Sukhdev Vihar    
Decisions Taken by BMW Committee No. 1 in the Meeting Held on 06.05.2008 :
(i) For finding a suitable alternative site for this  Common BMW Treatment Facility, a letter may be written by Chairman, DPCC, to Vice Chairman, DDA, and Commissioner, MCD, since this unit will have to be trans-located soon.
(ii) Authorization under BMW Rules and Consent to Operate under the Air & Water Acts extended upto the   next BMW Committee meeting  on 13.06.2008.
Action Taken w.r.t Meeting on 06.05.2008: 
(i) Letter issued to, Vice Chairman, DDA, and Commissioner, MCD, for finding a suitable alternative site for this  Common BMW Treatment Facility .
(ii)Authorization under BMW Rules and Consent to Operate under the Air & Water Acts extended upto  13.06.2008 vide letter issued on  21.05.08.Representatiom from the operator  received regarding extension of Authorization.  
Decisions Taken by BMW Committee No. 1 in the Meeting Held on 13.06.2008 : Authorization  under BMW Rules and Consent to Operate under  the Air & Water Acts extended upto the next BMW Committee meeting  on 14.07.2008.
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Action Taken w.r.t Meeting on 13.06.2008:  (i) Authorization under BMW Rules and Consent to Operate under the Air & Water Acts extended upto  14.07..2008 vide letter issued on  27.06.08.
(ii)  A  letter  from CMO ( BMW) , Deptt of Health Govt. of NCT , Delhi  received informing that Deptt of Health & Family Welfare ,GNCT  Delhi, has already taken up the matter   with  the DDA & has applied for an alternative land for  the present CTF at Okhla. 
 Decisions Taken by BMW Committee No. 1 in the Meeting Held on 14.07.2008 : “Ask the two operators that on what basis they are charging the fee and how are they increasing the fee overnight by 100 %. A formal clear justification of  increasing the fee may be submitted that must be examined properly and file may be submitted administratively.If the unit does not behave, no further extension of authorization will be granted.  Reply must come within 15 days and file to be put up administratively. 
 Action Taken w.r.t Meeting on 14.07.08:     Letter issued to both the Common Operators of Bio- Medical Waste Treatment Facilities in Delhi . 

 Decisions Taken by BMW Committee No. 1 in the Meeting Held on 27.08.2008 : Both Metro-Biocare & Synergy are unauthorizingly increasing prices. File to be submitted administratively without waiting for minutes.

Action Taken w.r.t. Meeting on 27.08.2008 :  File  submitted administratively. As directed by Chairman, DPCC,  information has been tabulated and dealt in common file on the issue of rates /service charges. A PIL has been filed against the operator . Representations  have been received from the unit ( also from Chief Minister Office ) regarding request for extension of authorization. 
Decisions Taken by BMW Committee No. 1 in the Meeting Held on 29.09.2008:  (i)  Action as per the decisions taken today  in  case of  Agenda No. 1 (Regarding  rates / service charges  for BMW ). 

                                                                                                                                             (ii) The same Committee which  inspected earlier  will inspect now for PLC system  and file report by 30.10.2008 at which time Bank Gaurantee                                                                                                                                                  issue  will be decided. 

Action Taken w.r.t. Meeting on 29.09.2008 : (i) Letter issued Regarding  rates / service charges  for BMW.
                                                                          (ii) Inspected on  15.10.08.

                                                                             (iii) There is PIL/High Court Case WP(C) 6976 of 2008 “P.K. Nayyar & Others Vs U.O.I & Others, regarding case filed against M/s Synergy Waste Management Pvt. Ltd. by the residents of DDA Flats Sukhdev Vihar, Delhi. DPCC is one of the respondents and Affidavit has been filed in the Court. High Court vide order dated 24.09.08 had requested Chief Secretary, GNCT Delhi, to convene a meeting of the Secretaries of the concerned departments and key personnel of the concerned agencies with  a view to taking urgent steps for relocation of the BMW   treatment facility.  The meeting was taken by the Chief secretary on 22.10.08.  Two  Letters  received from the Operator,  one regarding the representation w.r.t. meeting of Chief Secretary, Delhi regarding the High Court Case and another one in reply to the letter issued to the Operator on the Rate/charges for BMW  issue.     
Decisions Taken by BMW Committee No. 1 in the Meeting Held on 30.10.2008:
Chief Secretary, Govt of  NCT Delhi,  took a meeting  on  22.10.2008 & follow up action is being taken accordingly . The  BMW Committee  will be apprised of the updated position on 28.11.2008 . Regarding  letter received from the Operator on the issue of Rates / Service Charges for BMW ,  Operator  be asked to follow the Directorate of Health Services(DHS) agreement. Place a copy on the file.  Inspection of the unit was conducted by Independent Committee headed by Air  Mashl (Retd.) L.K.Verma , Dr. T.K..Joshi  & DPCC official  on 15.10.08 . The inspection report was placed before the Committee. Installed Programmable Logic Control (PLC) based control System was  found in use & found  operating satisfactorily. Independent Committee had recommended in its report to segregate Cat 6 waste in red bags (and not in yellow bags) to reduce load on the incinerator in order to reduce emission and particulate matter pollution. Both  the Operators be issued a letter in this regard to convey this to their member units  for proper segregation of the Bio-Medical Waste.
Action Taken w.r.t. Meeting on  30.10.2008 :  (i)  Letter issued to both the Operators to follow the Directorate of Health Services(DHS) agreement & to convey  the aforementioned decision of the Committee  to their member units for proper segregation of the Bio-Medical Waste. (ii) Team constituted for visit of  area  for Rural Growth Centre Site  at Ghogha  Village , not found the site suitable since the area is being developed by MCD for Relocation of Dairies & it was also revealed that in the nearby area there is Air Base of Armed Forces.   
(iii) A Team constituted by Chief Secretary ,GNCTD ( as decided in the meeting on 22.10.08), also visited the sites on 31.10.08, as suggested by the representatives of the  Association of  residents of  DDA Flats Sukhdev  Vihar , Delhi, and submitted its report . 
(iv)Next Date of Hearing in the said PIL is on 14.01.2008. 


 (v) M/s Synergy Waste Management Pvt. Ltd , has given representation and requested for extension of the Authorization under BMW Rules.
Decisions Taken by BMW Committee No. 1 in the Meeting Held on  28.11.2008:

Extension of Authorization allowed up to today i.e. up to 28.11.2008 . Further action will be taken based on the decision  about the  location. Dr. Chetna to Talk to Dr. K.S. Baghotia , CMO( BMW) of DHS regarding the representation received from the Operator on the Issue of  rates / service charges for BMW.
Action Taken w.r.t. Meeting on  28.11.2008:  Letter issued
Decisions Taken by BMW Committee No. 1 in the Meeting Held on  29.12.2008:

Ask the unit to comply with the prescribed  standards  with a stringent warning that if any of the parameters are not met authorization will be cancelled. Also if the unit does not abide by any of the  cluase of the agreement with DHS its authorization will be cancelled. Unit may be directed to contact DHS and get his premises shifted to the new site as per the minutes of the meeting taken by the Chief Secretary, Govt. of Delhi last week. The relocation has to be done at his own cost and risk as DPCC is not happly with his style / system of functioning as noted during the various inspections of the unit. Call on 29.01.2009. 

Action Taken w.r.t. Meeting on  29.12.2008:  Letter issued. 
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Decisions Taken by BMW Committee No. 1 in the Meeting Held on 29.01.2009 : 
 Ask the unit to file full compliance of directions issued to it earlier. Call on 02.03.2009.
Action Taken w.r.t. Meeting on 29.01.2009: Letter issued. Reply received. Informed regarding the measures taken & requested for extension  of authorization. During the hearing on 25.02.09, in the said High Court Case, Hon’ble High Court has directed DPCC to inform the Court regarding the Criteria if any, regarding the distance of Common Bio Medical Waste Treatment Facility (CBWTF) from the Residential area, available in the guidelines of CPCB or evolved by Delhi Pollution Control Committee or any other State Pollution Control Boards/Pollution Control Committees.
Decisions Taken by BMW Committee No. 1 in the Meeting Held on 02.03.2009

Call for personal hearing on 27.04.2009 at 3.10 PM. The operator will follow the rates for collection, transportation and treatment of Bio-Medical Waste as decided by the Directorate of Health Services (DHS) earlier and also communicated to the operator vide letter dated 24.02.2009, If  the operator flouts, Authorization will be cancelled.

Action Taken w.r.t. Meeting on 02.03.2009:                  
Letter issued. Representation received from the operator. 
In the High Court Case “P.K. Nayyar and others Vs UOI and others” in W.P.(C) 6976/2008, pursuant to the court order dated 04.03.2009, local Commissioner appointed by the court had inspected the site identified for CBWTF, on 05.03.09 and given its report to the court, pointing out certain observations regarding several residential areas, residential staff quarters, MCD primary school in the nearby of the said identified site for CBWTF. It is also mentioned in the said report that several residents of nearby colonies gathered at the site and were  expressing objections to the installation of BMW treatment facility at the proposed location. Thereafter vide order dated 06.03.2009, the court had directed the Asstt. Commissioner, DJB, to identify the site within one week, in the presence of the representative of the petitioners, the Pollution Control Board, Department of Health, NCT of Delhi and respondent no. 7. The Pollution Control Board was directed to submit a detailed report in the light of the report of the Commissioner.
Hon’ble High Court has given following order on 01.04.2009 “Counsel appearing for the Pollution Control Board seeks four weeks’ further time to make a report. She says that the board will inspect the site in presence of the officers of the Delhi Jal Board. Learned counsel appearing for the Delhi Jal Board states that the Board officers will accompany the officers of the Pollution Control Board at the time of the site inspection. The SHO of the concerned Police Station shall extend police protection, if necessary, to carry out the site inspection by the Pollution Control Board. Adjourned to 6th May 2009”. 
Reply dated 02.03.2009 was received from the Operator along with analysis report of Volatile Compound in ash (for sample collected by Guru Gobind Singh Indraprastha University on 06.02.09) showing the Volatile Compound in ash with in  the limit. 
As directed by Chairman, DPCC, inspection was carried out by the team of Dr. T.K. Joshi in presence of officials of DJB on 22.04.09
and the report of the team and affidavit, as approved by Chairman, DPCC has been filed in the High Court.

Decisions Taken by BMW Committee No. 1 in the Meeting Held on 27.04.2009 : 

The representatives of the CBWTF came for personal hearing today. Case to be taken up on 25.05.2009 after confirmation on the rates from Directorate of Health Services GNCT Delhi.

Action Taken w.r.t. Meeting on 27.04.2009: Letter issued to DHS on 08.05.09, reply awaited. Letter dated 25.05.09 received with request for extension of the authorization 
High Court case in the aforesaid matter is pending.
Decisions Taken by BMW Committee No. 1 in the Meeting Held on 01.06.2009 : 

Call on in next meeting.

Action Taken w.r.t. Meeting on 01.06.2009 : 
(i) Reply w.r.t letter dated 08.05.09 received from DHS and it has been informed that  there is no provision of extra Bio-Medical Waste in the contract entered with DHS under clause 2 of the agreement with M/s Synergy Waste Management Pvt. Ltd. and informed that proposal as mentioned in the letter of DPCC cannot be agreed. 

(ii)  Earlier Director DHS vide letter dated 01.05.09, had  requested to look into the matter regarding grant of  authorization to the operator having agreement with DHS for 10 years for operation of  CBWTF.  

(iii) The Operator has applied for the renewal of Authorization on 11.08.2009 and requested for renewal of the authorization for a further period of 3 years from the date of authorization given to the  operator on 07.11.06. 

(iv)  A letter  dated  24.07.09 has been received from Delhi Medical Association regarding non compliance w.r.t rates decided by DPCC  by both the operators. 

(v)  High Court case  in the aforesaid matter is pending and next date of hearing is on 28.10.09.
Decisions Taken by BMW Committee No. 1 in the Meeting Held on 08.09.2009:
Inspection to check PLC & also issue letter to DHS regarding rates.

Action Taken w.r.t. Meeting on 08.09.2009: 
(i)Unit was inspected on 24.09.09. Incinerator was found in operational condition, PLC was found in use. 
The unit should ensure proper functioning of PLC and ensure that it is tamper proof.

(ii) Letter to DHS issued.
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(iii) Letter from unit received on 22.10.09 confirming that necessary suggestion/modification have been carried out in PLC. 
(iv) Unit has submitted representation dated 11.11.09 regarding rates charged by another CBWTF operator (M/s Biotic Solutions, 46, SSI Industrial Area, Delhi-33).

      Unit has also requested for grant of authorization under BMW rules.       
(V) Applied for CTO (renewal) on 19.11.2009.

(vi) Court order dated 28.10.09 in W.P.(C)No.  6976/2008 was placed before the Committee & was discussed .The next  date of hearing in the said case is on 14.01.09. 

(vii) Another representation dated 19.11.09  received from the unit was also placed before the Committee,  
Decisions Taken by BMW Committee No. 1 in the Meeting Held on 25.11.2009:
(i)  Authorization under BMW Rules and Consent to Operate under the Air & Water Acts, granted  to the unit till 14.01.2010 with condition that Hon’ble High Court Orders in  W.P.(C) No. 6976/2008  will be  binding upon the unit.
                      (ii) M.S. DPCC to write a letter to CPCB  enclosing copy of order dated 28.10.09 in W.P.(C) 6976/2008, for defining specific distance criteria for CBWTF in Delhi & call the concerned officials of CPCB for discussions on the matters        related to said court case.

  (iii)  Send copy of High Court Order dated 28.10.09 in W. P. ( C) No. 6377/2004, for compliance & seek compliance report within 15 days.  
Action taken w.r.t. Meeting on 25.11.2009:
(i)Authorization issued on 18.12.09 with validity upto 14.01.10 & CTO issued on 17.12.09 with validity till 14.01.10. 

(ii)A letter was sent to CPCB on 07.12.09 for defining specific distance criteria for CBWTF in Delhi & Concerned officials of CPCB were called for discussions on the matter on 10.12.09 & CPCB has sent its comment vide letter dated 18.12.09.

(iii) Copy of High Court Order dated 28.10.09 in W. P. (C) No. 6377/2004, for compliance issued to the unit on 08.12.09 & reply received on 16.12.09. 
(iv) SCN u/s 5 of EPA issued on 13.01.10 w.r.t  the monitoring of incinerator by CPCB(Monitoring Report of CPCB shows Particulate Matter Concentration was not meeting the prescribed standards.) . Reply received. Monitoring report of incinerator submitted after CPCB monitoring conducted by GGSIPU on 25.12.09, parameters meeting the standards.
(v) Affidavit was filled by DPCC in the said High Court matter W. P. (C) No. 6976/2008 & order of Hon’ble High Court dated 14.01.2010 is enclosed. Next date of Hearing in the matter is 02.03.10.

(vi) Affidavit in the said matter has been prepared by legal cell.

(vii) Unit has requested for grant/extension of Authorization under BMW Rules & Consent (Renewal) under the Air & Water Acts.
Decisions Taken by BMW Committee No. 1 in the Meeting Held on 24.02.2010:

(i) Authorization under BMW Rules and Consent to Operate under the Air & Water Acts, granted/extended to the unit for 6 months from the date of  expiry of previous Authorization & Consent granted to the unit., with condition that Hon’ble High Court Orders in  W.P.(C) No. 6976/2008  will be  binding upon the unit. The Authorization & Consent are to be issued after submission of Bank Guarantee of  Rupees One  Lakh only in favour of Delhi Pollution Control Committee for One Year period.
Action taken w.r.t. Meeting on 24.02.2010
                         1)Bank Gurantee of Rs 1 Lakh submitted by the unit.

                         2) Authorisation (renewal) & Consent To Operate (renewal) exented upto 14.07.10 issued.

                         3) Regarding High Court case in W. P. (C) No. 6976/2008 , 2 meetings were taken by Chief Sectretary Delhi on 20.04.10 & 14.05.10 and as decided affidavits have been filed by DHS. It was decided in meeting on 20.04.10 that                          land at STP okhla alloted by DJB for shifting CBWTF from its present site is quite fit for shifting the CBWTF of   M/s Synergy Waste Management Pvt. Ltd.    Near Composite Plant, Sukhdev Vihar Okhla, New Delhi-20.  

                         In the said meeting on 14.05.10 director of M/s Synergy Waste Management Pvt. Ltd. Sh. Neeraj Aggarwal explained that he is not in a position to shift CBWT  from its present location due to various reasons & apprehentions. It                          was further stated by him that due to various apprehentions /reasons he is no more interested to operate its plant at exsisting site & expressed his desire to withdraw from the contract with DHS. Chief Secretary asked him to                          continue to operate the CBWTF till a new CBWTF with Delhi Government collabaration is set up since it will take some more time to establish CBWTF at  Nilothi.It is learnt that as decided in the meeting of Chief Sectretary on                          20.04.10, a notice has been issued by DHS to M/s Synergy Waste Management Pvt. Ltd.    Near Composite Plant, Sukhdev Vihar      Okhla, New Delhi-20.  

                        4) The next date of hearing in the said matter is 14.07.2010.
                        5) Unit was inspected on 19.05.2010 by a team of Dr. T.K Joshi & plant & machinery found operational. Air Pollution Control Device, Venturi Scrubber was opearting. 
                        

                          Decisions Taken by BMW Committee No. 1 in the Meeting Held on 15.06.2010:

                          (i) Authorization under BMW Rules and Consent to Operate under the Air & Water Acts, granted/extended for 3 months,  upto 14.10.2010  to the unit , with  condition that Hon’ble High Court Orders in  W.P.(C) No. 6976/2008                                 will be  binding upon the unit.
Action taken w.r.t. Meeting on 15.06.2010
                         (i) Authorization (renewal) & Consent To Operate (renewal) extended upto 14.10.10 .
                         (ii) M/s Synergy Waste Management Pvt. Ltd. has filed a petition before the High Court of Delhi, [ W.P( C ) No. 5683/2010 ) against the decisions taken/ minutes of the meeting dated 14.05.2010 of  the Chief Secretary, Govt.of                                NCT Of Delhi. The said matter was taken up by the Hon’ble High Court on 25.08.2010 and next date in this  matter and other  High Court Case WP(C) 6976 of 2008 “P.K. Nayyar & Others Vs U.O.I & Others  is 26.10.2010.
                          (iii) The  operator of  CBWTF has submitted a representation on 14.09.10 requesting to grant /extend the authorization and Consent to Operate of the unit.                              
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                         Decisions Taken by BMW Committee No. 1 in the Meeting Held on 15.09.2010:  

Authorization under BMW Rules and Consent to Operate under the Air & Water Acts, granted/extended for 3 months,  upto 14.01.2011  to the unit , with  condition that Hon’ble High Court Orders in  W.P.(C) No. 6976/2008   & W.P( C ) No. 5683/2010  will be  binding upon the unit. The Authorization & Consent to Operate to be issued after getting an affidavit from the unit that  the  unit is complying with (i) Guidelines of Central Pollution Control Board for Common Bio Medical Waste Treatment Facility (ii) Provisions of the Bio Medical Waste  (Management and  Handling) Rules, 1998, as amended to date (iii)Conditions of the Authorization under the said Rules & Consent to Operate granted to the unit earlier.

                          Action taken w.r.t. Meeting on 15.09.2010

                          Affidavit submitted by the unit. Authorization (Renewal) under BMW Rules and Consent to Operate (Renewal) under the Air & Water Acts, granted/extended  to the unit  upto 14.01.2011.
  

                         Recommendations of  BMW Committee No.1  in the Meeting Held on 23.11.2010:  

                     Put up in next meeting or if need be on file.  

Action taken w.r.t. Meeting on 23.11.2010:
(i) Clarification was sought vide letter dated 15.12.10,  from PS New Friends Colony, Delhi and also from Director of M/s Synergy Waste Management Pvt. Limited regarding seizure of the vehicle with Bio Medical Waste in the night of  27.11.2010. Unit replied vide letter dated 30.12.2010  and informed that they carried out treatment & disposal of Bio Medical Waste according to the mandate/instructions given & in accordance with normal practices only. SHO PS New Friends Colony has also sent its reply/clarification vide letter dated 09.02.11.   

(ii) Hon’ble High Court vide Order dated 13.12.2010  in W.P.(C) No. 6976/2008,  directed DPCC to file the status report in respect of petitioner industry & its impact on the environment, if any.  Inspection of the unit was carried out by DPCC officials  along with Dr. T. K Joshi on 21.01.2011, monitoring of incinerator was conducted and sample of treated effluent from ETP was also collected by DPCC laboratory  during the inspection. Plant & machinery including incinerator (with PLC), autoclave, shredder, ETP etc found operational.  Monitoring report for incinerator and test report for ETP indicates that reported parameters are meeting the prescribed standards.

                           Unit vide its letter dated 05.02.2011 has submitted the test reports from Delhi Technological University an empanelled laboratory of DPCC for incinerator, treated effluent, spore test report for autoclave,  noise report for DG Set and                           VOC test report for incinerator ash. The result of the monitoring/analysis reports shows that the unit is meeting the prescribed standards.

(iii)An affidavit was filed by DPCC in the High Court on 10.02.2011.  Hon’ble High Court has passed following orders on 14.02.2011 “These are admitted matters. Let them be added to the regular hearing list in the week commencing 18th July, 2011. The Pollution Control Board both Central & State shall file their status report after supplying copy thereof to the learned counsel for the parties”

(iv) Complaints of Shri Vimal Monga, resident of pocket A, Sukhdev Vihar, Delhi received in last week of Feb 2011, through e mail against the unit.

(v)The unit has requested for issue of Authorization. 

                         
                           Recommendations of BMW Committee No.1 in the Meeting Held on 09.03.2011:  

                           Authorization under BMW Rules and Consent to Operate under the Air & Water Acts, extended  upto 31.07.2011   or  to a valid date of contract by the Health Department of Govt. of  NCT of Delhi,  whichever is earlier beside further                            condition that Hon’ble High Court Orders in W.P.(C) No. 6976/2008   & W.P( C ) No. 5683/2010  will be  binding upon the unit. 
Action taken w.r.t. Meeting on 09.03.2011 :

(i) Authorization (Renewal) under BMW Rules and Consent to Operate (Renewal) under the Air & Water Acts, extended  to the unit  upto  31.07.2011 with conditions  as decided in the meeting on 09.03.11.
(ii) Vide letter dated 07.03.11 of DHS , Copy of Notices dated 12.05.10 & 21.01.11 ( unit was directed by DHS to shift its plant from present site to new identified site at STP Okhla ) were received.

(iii) A letter dated 15.04.11 w.r.t complaints received against the unit , was sent to CPCB enclosing the copy of Affidavit filed by DPCC in W.P.(C) No. 6976/2008   & W.P( C ) No. 5683/2010. 

(iv) An inspection of the site of CBWTF was carried out by Chairman, DPCC alongwith other officer on 23.04.11.    

(v) In compliance of the Hon’ble High Court  Order dated  14.02.2011, joint inspection of the unit was carried out by CPCB & DPCC on  27.04.11 & 13.05.11 and monitoring was also carried out on 13.05.11. As per the affidavit filed by       CPCB Dated 01.06.11, Particulate Matter ( 146.1 mg/ Nm3  (sample 1) &  160.5 mg/Nm3 (sample 2 ) was found exceeding the prescribed limit and therefore a Show Cause Notice u/s 5 Of EP Act was issued to the unit on        13.07.11.In reply to the said Notice the unit submitted the monitoring report for incinerator( monitoring conducted  on 06.07.11 ) from DTU an empanelled laboratory of DPCC which shows parameters are meeting the prescribed       standards. The unit also informed that it has issued circulars to its member units for proper segregation of the Bio Medical Waste.

(vi) Hon’ble High Court has passed  orders on 18.07.2011  with directions that Joint inspection report should be submitted by the Central Pollution Control Board and the Delhi Pollution Control Committee after verifying and conducting        test at the site of the plant whether the standards have been met and further pollution caused by the plant can really affect the life and health of the residents.Let the inspection and spot visit be conducted within a period of two       weeks and the report be filed within a period of two weeks there from. 

(vii)In compliance of the Hon’ble High Court  Order dated  18.07.2011, joint inspection of the unit was carried out by CPCB & DPCC on   27.07.11  and monitoring was also carried out by CPCB on  27.07.11. As per the affidavit filed        by CPCB  in  August 2011,  the unit was complying with the limits as prescribed under Schedule  V of the BMW Rules  in respect of Particulate Matter , NOx  & HCl.  The monitoring results of the particulate matter observed was         6.9 mg/ Nm3  (sample 1) &  6.8 mg/Nm3 (sample 2 ) which compel re-monitoring for confirmation of observations and accordingly CPCB prayed to the Court  for allowing extra time of 25 days  for re-monitoring. With regard to       analysis of waste  water samples collected during monitoring from the Effluent Treatment Plant  of the facility , the treated waste water sample was found to be complying with all the stipulated parameters such as pH, Suspended       Solids , oil & Grease, COD , BOD etc. as prescribed under the BMW Rules except the Bio –assay test. However , the facility operator was completely recycling the waste water generated in its premises and hence there was no       discharge from the facility.   

(viii) Joint  re – monitoring of the  unit was carried out by CPCB & DPCC on   29.08.11 and  as per the  Analysis Report for the Stack Monitoring conducted by CPCB, the unit  is complying with the limits as prescribed under Schedule           V of the BMW Rules  in respect of Particulate Matter , NOx  & HCl.   Reported  Particulate matter in the stack emissions  are  116 mg/ Nm3  (sample 1) &   49.76 mg/Nm3 (sample 2 ). 

(ix) Matter  was listed  on 08.09.2011 in the  High Court and  has  now  been listed  on 05.10.11.

(x)  The unit has requested for further extension of the Authorization.                                                                                                                                                                                                                                                                6

                     
                     Decisions Recommended by  BMW Committee No.1 in the Meeting Held on 27.09.2011 , in case of M/s Synergy Waste Management Pvt. Ltd. ,
                     Near Composite Plant  &  near Sukhdev Vihar , Okhla, New Delhi-20 :
 
Authorization under BMW Rules  and  Consent to Operate under the Air & Water Acts extended  upto 06.11.2012.
(Keshav Chandra)              (Dr. A.K.Ambasht)               (Dr.T.K.Joshi)         (Dr. Chetna Harjai)             (D.K.Singh)        (K.Kumar)                       

                        Chairman,DPCC          Member Secretary,DPCC         COEH ,MAMC      Scientist,DOE,GNCTD          SEE(BMW)         EE(BMW)                     
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	Sl.No
	Name and Address of Unit 
	Distt. No.
	Bed (No.)
	Authorisation Status
	CTO Status
	CTE Status
	SWHS Status
	RWHS Status
	ETP Status
	Brief Status 
	Recommendations  in the Meeting on 
09.03.11
	ATR/Status
	Decisions Recommended  in the Meeting on 27.09.11
	 
	 
	 
	 

	2
	Metro Bio-Care Services (P) Limited, 55,Railway Road, Samaipur Industrial Area, Delhi -42
	NW-359
	CBWTF
	Applied for Renewal of authorization  28.11.2008.
	Applied for Renewal of Consent on 26.11.08
	Granted
	NA
	NA
	Installed
	1..No. of reperserntations/letters were  received from the unit requesting to issue Authorisation (renewal) & Consent (renewal).
2. Complaints were received against the unit & inspections were carried out by a team including Dr. T. K Joshi on 09.04.10  & 29.07.10 . Incinerator & other plant & machinery  found operational.
3.Directions u/s 5 of EP Act, were issued to  the unit  on 19.08.2010 to rectify the  deficiencies to comply with the guidelines of CPCB for Common Bio-Medical Waste Treatment Facility (CBWTF) & Bio-Medical Waste (Management & Handling) Rules, 1998.Unit was also directed  that  till the CBWTF complies with the guidelines of CPCB and said BMW Rules, CBWTF shall close its operation and will not restart till the deficiencies are rectified and DPCC certifies that CBWTF is complying with the guidelines of CPCB and said BMW Rules.
4.The unit submitted  its representation  on 26.08.10 . A Writ Petition was filed by the unit in the High Court of Delhi [W.P. (C) No.  5822/ 2010 in the matter of Metro Bio-Care Services Pvt. Ltd Vs Union of India  & ORS.] .
5.  Hon’ble High Court  vide order dated  28.08.10. disposed off the petition of the  unit with directions that  the impugned order dated 19th August 2010 issued by the DPCC should be treated as a show cause notice  and the  the Petitioner is permitted to file an additional reply by 31st August 2010. DPCC was directed to  pass an order on or before 6th September 2010 after giving the Petitioner an opportunity of being heard. The direction to the Petitioner in the impugned order dated 19th August 2010 to close down its unit was  set aside by the court.It will be open to the Petitioner ,if aggrieved by such order,to file anappeal in terms of Rule 13 of the BMW Rules Appellate Authority. 
6. A Letter /Representation was  received from the unit on 31.08.2010.
7.The unit was inspected on 01.09.10 by a team including Dr.T.K.Joshi  and opportunity of Hearing was given to the unit/ Petitioner before  the BMW  Committee No. 1, on 03.09.10. Meeting of the said BMW Committee No. 1 was held on 03.09.2010 .       
	Letter seeking annual report for BMW.
	Letter issued . Annual Report received.       The case came up for hearing  on 23.08.11 and clarification sought by the  Appellate has been given.Judgement reserved which will be pronounced on 04.10.11 .
	Case deffered for next meeting.
	 
	 
	 
	 

	 
	 
	 
	 
	 
	 
	 
	 
	 
	 
	   8. Based on the decisions taken on 03.09.11, following     Directions u / s 5 of EP Act were issued to the unit on 06.09.11                                                                                   (i) M/s Metro Bio-Care Services Pvt.Ltd., Plot No.55, Railway Road,Samai Pur Industrial Area, Delhi-42(CBWTF) is directed to rectify  the deficiencies mentioned above at S.No. 1 to 7 and also in the minutes refer  (S.No. 1 to 7 in the table in the minutes) of the meeting of BMW Committee No.1 , held on 03.09.2010 (copy of minutes enclosed) to comply with the guidelines of Central Pollution Control Board (CPCB) for Common Bio-Medical Waste Treatment Facility (CBWTF) & Bio-Medical Waste (Management & Handling) Rules, 1998, as amended to date.                                                                                               (ii) M/s Metro Bio-Care Services Pvt.Ltd., Plot No.55, Railway Road,Samai Pur Industrial Area, Delhi-42(CBWTF) shall not collect Bio - Medical Waste from the Health Care Establishments in Delhi after receiving of these directions.
(iii) M/s Metro Bio-Care Services Pvt.Ltd., Plot No.55, Railway Road,Samai Pur Industrial Area, Delhi-42(CBWTF)shall treat the earlier collected Bio-Medical Waste by 09.09.2010 and  shall close  down its operation / facility w.e.f  10.09.2010 and will not restart its facility till the deficiencies are rectified and DPCC certifies that Metro Bio-Care Services Pvt. Ltd., CBWTF, is complying with the CPCB guidelines and  said BMW rules.                                                                                                        (iv) M/s Metro Bio-Care Services Pvt.Ltd., Plot No.55, Railway Road,Samai Pur Industrial Area, Delhi-42(CBWTF) will inform  its member units regarding discontinuation of its services within 24 Hours  after receiving of these directions.” 
8.. Decision taken in the meeting on 15.09.10 :  "Action has already  been taken as per the decision taken by BMW Committee No.1 in its meeting on 03.09.10 w.r.t High Court case (W.P. (C) No.  5822/ 2010). Matter is also subjudice."   9.(i)The unit filed appeal before the Appeallate Authority against the Directions u/s 5of the EP Act , issued by DPCC on 06.09.10 and stay was granted by the Appeallate Authority on 15.09.10.  (ii)Reply w.r.t Appeal of the unit filed by DPCC.(iii)Another representation was received from the unit in Oct, 2010  & was put up in file.           (iv) Case was listed / heard on various dates and concerned file / clarification sought by the Appellate Authority has been given by DPCC.  Last hearing in the case was on 23.08.11.                               
               
	 
	 
	 
	 
	 
	 
	 

	3
	Biotic Solutions, 46, SSI Industrial Area, Delhi-33
	NW-408
	CBWTF
	Granted (Valid upto 07.10.12)
	Granted (Valid upto 12.08.12)
	Granted
	NA
	NA
	Installed
	1.Consent to Establish under the Air & Water Acts was granted to the unit on 14.05.09 
2.Consent to Operate under the Air & Water Acts was granted to the unit on 01.10.2009 . ( valid upto 12.08.12).
3.Authorization under the BMW Rules was granted to the unit on 08.10.2009 (provisional authorization, for one year , valid upto 07.10.2010  and has been extended for 2 yrs (valid upto 07.10.12), as decided in the meeting on 23.11.10. 
 4.Representation were received from the unit for Central  subsidy towards CBWTF. 
5.As decided by the  BMW Committee No. 1, w.r.t letters received from MOEF dated 26.12.08 & 18.02.09 regarding subsidy for CBWTFs ,in its meeting on 02.03.09 , a letter was sent to MOEF on 21.04.2009 mentioning  following  :
“since sites / land identified for CBWTFs in Delhi is / proposed to be with Health Department of GNCT of Delhi, Central Subsidy is not required "

6.The unit vide letter dated 10.04.2010 had requested for Central Subsidy for their CBWTF  and submitted following:
(i)Techno-Economic Feasibility Report  
(ii)Land and Building where the CBWTF Plant is coming up is rented premises.                                                                                                                                                                (iii)Copy  of Lease agreement Dated 25.09.2009, for 3 years upto 24.09.2012 .
(iv)List of Plant &Machinery purchased, with copies of bills.
(v)Financing of the project has currently been done entirely by the promoters of the firm. 
Unit  requested for subsidy to reduce the burden and requested  DPCC to forward their proposal to MOEF after doing the financial appraisal of the project and giving confirmation of equivalent amount of State Government subsidy.
	Take the list of the plastic waste recyclers authorized by DPCC (having valid Consent under the Air & Water Acts) and send it to the unit. 
	1.CMC was requested to provide the list and the same is awaited.                                                2. Vide letter dated 27.04.11 unit has requested to forward their application to DSIDC for allotment of approx. 1000sq.yd  in Narela Industrial Area.                  
	Issue letter to the unit that earler granted Authorization and Consent to be treated in the new name of the unit.                            .Send letter to MOEF .              
	 
	 
	 
	 

	 
	 
	 
	 
	 
	 
	 
	 
	 
	 
	7.Vide letter received from the unit on 09.08.2010 following documents were submitted by the unit  
(i)Adequacy report from GGSIPU Dated 12.08.2009 of ETP and    ECS  from an empanelled Consultant (GGSIPU)
(ii)Test report for ETP  dated 31.12.2009 from an empanelled laboratory (GGSIPU) for the sample collected on 23.12.2009 
(iii) Test report for Incinerator dated 26.12.2009 from an empanelled laboratory (GGSIPU) for the  sample collected on  23.12.2009. 
(iv) Autoclave spore test report dated 15.07.2010 from an empanelled laboratory (SIIR) for the sample collected on 16.06.2010
(v)Noise Monitoring Report for DG Set(82.5 KVA) from DPCC. 
8.As decided in meeting on 15.09.10,reply sent to MOEF on 01.10.10 w.r.t their letter dated 25.05.10, mentioning that the unit has established CBWTF on its own & this is not a State Government sponsored project. The said CBWTF is not on Govt. land & the CBWTF is already in operation by  Private Enterprises.
9.Unit was asked to submit an affidavit  that the unit is complying with (i) Guidelines of CPCB for CBWTF (ii) Provisions of the BMW Rules(iii)Conditions of the Authorization under the said Rules & Consent to Operate granted to the unit earlier.
10. Unit submitted affidavit as sought above. Inspection of the unit was carried out on 13.10.10 .
11. A letter dated 18.10.10 was received from the unit requesting to grant either the  available  land in terms of the subsidy or give financial assistance as mentioned in the Central Subsidy Scheme of MOEF.
12. A letter was issued to MOEF on 15.11.10 seeking clarification whether Private land in possession of the operator of CBWTF will qualify towards State share or not for the purpose of subsidy in MOEF Scheme for setting up CBWTF.                                                                                                                                                        13. Unit has informed regarding installation of a new incinerator of 250 kg/hr capacity and shredder of 350 kg/hr capacity as a standby/back up arrangement. 
	 
	3.Unit has submitted letter on 03.05.11 informing that the name of company changed from Biotic Solutions to M/s Biotic Waste Pvt. Ltd. Parteners of the earliar company are now directors & share holders of new company.  Copy of certificate of incorporation MOA enclosed with the letter.  The  unit has requested to re issue Authorization & Consent in the new name.                                      4. Another letter dated 23.05.11 received from the unit requesting DPCC to consider their request for grant of subsidy.
	 
	 
	 
	 
	 

	 
	 
	 
	 
	 
	 
	 
	 
	 
	 
	14.  The unit  again requested for central subsidy for CBWTF vide letter dated 24.01.11. This time it was requested to grant the land (half acre to one acre) available with DHS against the proportionate amount of financial assistance as mentioned in Central Subsidy Scheme of MOEF and a letter was issued to  DHS on 18.02.11, mentioning that request of the unit may be considered for giving suitable land at approved places as State/UT Govt contribution within the framework of Rules.      A complaint was received against the CBWTF & also through  PGC of CM office . 
15. CPCB had monitored the incinerator of the unit on 30.09.10 & 01.10.10 . CPCB  had sent a letter to the unit mentioning its observations made during the monitoring of the unit on 30.09.10 & 01.10.10 dated 14.02.11, It is also mentioned in the said letter that  ETP was not meeting the standards w.r.t Bio Assay test.                                                                                  16. Letter sent to the unit on 18.02.11 to carry out necessary improvements as pointed out/ suggested by CPCB  and submit the compliance report to DPCC.                                                                                                                                                               17. Reply received from the unit informing that (i)location of portholes has been rectified (ii) mechanical feeding system .(trolley system)  has been provided with the autocalve.
(iii) ETP has been upgraded and adequacy report for the upgraded ETP will be submitted.
(iv) to ensure proper segregation at source, circulars have been issuedby the unit to HCUs and Separate staff has been deputed to make random checks.
(v) Regarding sale of shredded plastic waste to the recycler of plastic waste Authorized by DPCC, unit  also requested to provide the list of Authorized plastic waste recycler in Delhi. 
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	Sembramky Environmental Management  Pvt. Ltd
Khasra No. 83/22, Nale Wali Gali, Mundka Udyog Nagar, Delhi-41
	W-370
	CBWTF
	_______
	____
	Applied on 23.06.08
	__
	__
	__
	(1)  Applied for CTE on 23-06-08 for the Establishment of Common Bio-Medical Waste Treatment Facility (CBWTF) at Mundka.
(2)  The activity “ Hazardous Waste Processing viz.hospital/medical/industrial waste” is mentioned at sl no. 46 of the list of prohibited / negative list of industries (Annexure III) of MPD 2021.  As per  the note given in the said Annexure III a Public utility service involving any of the activities referred to above shall be permitted subject to environmental laws.  (3) Plot area for the said facility is one acre. (4) It is informed that all the required equipments like incinerator (Double Chamber) with venturi scrubber, autoclaves, shredder etc. shall be installed.  ETP shall be installed and treated effluent shall be reused. (5)  Letter was received from COI. informing that the  area for the site is not a conforming industrial area as on date. However for setting up BMW Treatment Facility in the area, DPCC may decide on its own level depending upon dire need of Delhi as well as, as per provision of MPD-2021 in consultation with DDA, if needed. (6)  Representations received from  the unit requesting for grant of CTE. (7)  Meeting with DDA, MCD & Industries Department officials was held on 4th & 8th march 2010 regarding permissiblity of the CBWTF considering the povisions of MPD-2021 particularly provisions for Redevelopment of unplanned industrial areas.A letter was  issued to DDAon10.03.10 seeking clarification on the issue. Reply dated 06.04.10 was received from DDA mentioning " Those industrial units covered under public utility as per MPD-2021 but are involved with the processing and treatment of the hazardous waste may be allowed to continue provided they confirm to the environmental laws to be examined by DPCC concerned Environmental Body." The matter was put up in the file & as decided was placed before BMW Committee NO.1.
	Reminder to DHS w.r.t draft policy on CBWTF.
	Reminder issued to DHS. Response not received so far.
	Reminder
	 
	 
	 
	 

	5
	SMS Water Grace BMW Pvt. Ltd, Nilothi Sewage Treatment Plant Complex of DJB, Nilohi, Delhi-41       
	W-401
	CBWTF
	Granted  (For one year,  valid upto 07.04.2012)
	Granted ( valid upto 07.04.2012)
	Granted
	NA
	NA
	Installed
	1. The site was inspected by officials of DHS,DPCC & DJB on 05.03.09.
2. DHS given the land to the unit as per the agreement  for setting of the centralised Bio Medical waste Treatment Facility. (1/2 acre i.e 50.6  x  40 sq.m).
3.Submitted EIA report on 01.02.10.
4. The matter was discussed in the meeting with DDA & MCD on 4th/8th March 2010. As discussed in the meeting CBWTF can be established in STP Complex.
5. Site was inspected by team including Dr. T.K Joshi of COEH & Scientist from Env. Deptt and DPCC officials on on 09.04.10 and CTE was issued to the unit on 20.04.10.
6.As decided by BMW Committee No.1 Inspection of the unit was conducted by a team of officers from DPCC, DHS, CPCB, Env. Deppt & Dr. T.K Joshi of COEH on13.12.2010.                                                                                                                                     7. A letter dated 03.01.11 was received from  CPCB seeking clarification from  State Health Deptt or State Env. Deptt for selection /justification of site of CBWTF & also from DPCCregarding  issuance of  CTE to CBWTF.                                                 8.Clarification/ Justification for selection of site of CBWTF at Nilithi STP Complex was given to CPCB vide letter dated 07.02.11 enclosing minutes of CS meeting on 26.12.08 and inspection report of the team dated 09.04.10.                                              9.A letter was issued to the unit on 10.02.11 communicating the recommendations of the team  to take necessary action and  send the compliance report.                                                                                                                                         10.Vide letter dated 31.01.11 unit informed regarding measures taken after the inspection by the team on 13.12.10 & Vide letter dated 15.02.22 w.r.t letter of DPCC dated 10.02.11, unit informed regarding completion of the works/compliance w.r.t recommendations of the team.                                                                                                                                            11. Another inspection of the unit (CBWTF) at Nilithi STP was carried out by a Team consisting of Dr. T.K Joshi of COEH and officials from CPCB, DHS & DPCC on 01.03.11. 
	Report of the team on the inspection of the CBWTF at Nilothi on 01.03.11, was placed before the Committee and letter of DHS dated 28.02.11& letter of the unit dated 07.03.11 received on 09.03.11, were discussed and the Committee agreed with the recommendations of the team in the said report. 
	1.Authorization under BMW Rules and Consent to operate under the Air & Water Acts were issued to the unit on 08.04.11 for a trial period of one year after getting clarification / reply from Health Deptt.                      2. Letter sent to DHS enclosing copy of report of team for n.a.                                   3. Unit was inspected on 20.09.11 and CBWTF found operating Incinerator.  (APCD), Autoclave, Shredder, ETP found operating.                                          
	letter seeking monitoring report for Incinerator, Autoclave, ETP, Boiler, DG Set and also adequacy report for APCD of Incinerator and ETP. 
	 
	 
	 
	 

	 
	 
	 
	 
	 
	 
	 
	 
	 
	 
	 
	The Committee recommended to Grant Consent to Operate under the Air & Water Acts and  Authorization under the BMW Rules, to the unit  (M/s SMS Water Grace BMW Pvt. Ltd.) for a trial period of one year after taking clarification  from the Health Department, Govt. of NCT of Delhi, regarding settlement of dues.
	4.Representations received from the unit requesting adjacent half acre land to the unit. Unit has also requested for subsidy from State and Central Government for its CBWTF. 
	 
	 
	 
	 
	 

	 
	 
	 
	 
	 
	 
	 
	 
	 
	 
	 
	Inspection of the unit to be carried out after one month.     Send letter to DHS enclosing copy of the said  report of the team for necessary action w.r.t recommendation  regarding providing additional adjoining half acre land (in possession of DHS) to the unit (CBWTF).
	
	 
	 
	 
	 
	 

	6
	Shriram Institute for Industrial Research , 19, University Road, Delhi-07.
	N-069
	Research Institute
	Granted
(Valid upto 19.04.13)
	Applied on 11.11.08
	Granted
	Installed
	Installed
	Installed
	1.This is a case of Research Institute which is having animal house and generates BMW.
2.ETP installed & adequacy report submitted.                                                                                                            3.As decided in meeting held on 09.03.11   Institute was inspected  on 22.06.11 . Bio-Medical Waste Management was found satisfactory. 
	Letter seeking Adequacy Report foe ETP.  Inspection
	1. Letter  issued on  15.04.11.                                                                                                    2.Institute has submitted adequacy report ,  test report & NMR  from empannlled laboratories. Meeting the prescribed limits.                                                                       3.Institute was inspected on 22.06.11.Bio-Medical Waste Management was found satisfactory.  
	Consent to Operate granted.
	 
	 
	 
	 

	7
	I.P Medical Corporation (Apollo Hospital) Ltd.,Sarita  Vihar , Mathura Road , New Delhi-44
	S-003
	615
	Granted
(Valid upto 19.01.13)
	Granted    (Valid upto 02.07.12)
	Granted
	Installed
	Installed
	Installed
	1.Hospital was granted consent to establish for additional 200 beds.and has been asked to apply for Consent to Operate for additional 200 beds as and when applicable.
2.Letter received on 13.01.10 requesting  to extend the earlier granted CTE for additional 200 beds by a period of one year. 
3.As decided in meeting held on 15.06.10 unit was asked  to deposit fee for 1 year(extended period) at the time of submission of application for Consent to Operate for additional 200 beds. 
4.Hospital was inspected on 16.11.10 & following  were main  observations.:
(i) BMW Management  found satisfactory.
(ii)ETP found operating however DMF & ACF are not in use. (iii) Treated effluent is used for horticulture. Hospital has proposal for installation of ultra filtration unit for using the treated effluent in toilets also.(iv) Construction for additional beds(about 120 beds)was going on.                                                                                                                                                            6.As decided on meeting held on 09.03.11. hospital was inspected on 07.06.11. Bio-Medical waste management was found satisfactory.                                                                 
	Inspection
	1. Hospital was inspected on 07.06.11. Bio-Medical waste management was found satisfactory. 
	No Action.
	 
	 
	 
	 

	8
	St. Stephen's Hospital Tis Hazari, Delhi-54
	N-002
	595
	Granted   (Valid upto 02.07.12) 
	Granted
(Valid upto 22.11.11)
	Granted
	Installed
	Representation received regarding high water table. Letter from CGWA submitted.
	Installed
(Reconstruction of Equalization tank & Aeration Tank due to bridge construction)
	1. It was  informed that some portion of ETP is coming under the proposed bridge of MCD for which aeration tank will be demolished.
2. Letters were issued  seeking present status of ETP.                                              3.Letter received on 07.01.2011 informing that civil construction of both the Equalization & Aeration tanks completed  and are taking  up the work of installation of Mechanical equipments.                                                          
	Inspection 
	1. Hospital was inspected on 06.05.11.                                                    Bio-Medical waste management found satisfactory
	Letter seeking  status of ETP.
	 
	 
	 
	 

	9
	Fortis Hospotel  Ltd. (Earlier Oscar Bio Tech Pvt. Ltd.) A- Block Shalimar Bagh, Delhi-88
	NW-434
	155
	Granted 
(Valid upto 09.03.13)   
	Granted
(Valid upto 22.09.12) 
	Granted
	Installed
	Installed
	Installed
	1. Environmental Clearance (EC) was given by MOEF vide letter dated 20.04.2007 for 550 bedded hospital.
2.An inspection of the premises was carried out on 27.08.08 during which construction of Phase-I, was going on. Thereafter the mattar was placed before BMW Committee No.1, and as decided in BMW Committee/ CMC (Orange) meeting  letters were issued to the unit. As decided by CMC (Orange) Committee damage of Rs. 10 Lakh & Bank Guranttee of Rs. 1.2 crore were asked from the unit vide letter dated 19.09.08.
3. Unit had filed appeal before Appellate Authority (Financial Commissioner) against the said decisions  and stay was  given by the Appellate Authority Reply was filed by DPCC in the said appeal.
4. Unit requested for Grant of  CTE and deposted Rs. 10 Lakh (Damages) and also requested for exemption for submission of Bank Guarantee of Rs. 1.2 Crore. Later on the appeal was also withdrawn by the unit.The matter was put up in concerned filed and as decided CTE was issued to the unit 21.01.10. 
5.The hospital was inspected by team including Dr. T.K Joshi on 22.01.2010. 
6.As decided Bank Guranttee of Rs. 25 Lakh was submitted by the unit .
7.As decided  in meeting held on 24.02.10 Authorisation & CTO were Issued.
8.As decided in meeting held on 15.06.10 .letter issued seeking adequacy report for ETP.                                                                                                                                     9. As decided in meeting held on 23.11.10 Authorization granted for additional 67 beds since earlier Authorization was already  granted for 88 beds.                                                                                         10.  Hospital has submitted Adequacy report  along with effluent analysis report from empanelled laboratory which shows meeting the prescribed limits.                                   Hospital has submitted a copy  of permission by CGWA vide letter dated 20.01.09 for drawing ground water.                                                                                                                                                                                                     
	Inspection
	1. Hospital was inspected on 01.04.11.  Bio-Medical waste management found satisfactory.                                                                                                                       
	No Action.
	 
	 
	 
	 

	10
	Batra Hospital & Medical Research Centre, 1, Tughlakabad Institutional Area,Mehrauli  Badarpur Road, Delhi
	S-005
	495
	Granted
(Valid upto 26.05.12)
	Granted
(Valid upto 27.09.13)
	Granted
	Installed
	Installed
	Installed
	1.As decided in meeting held on 25.11.09 Hospital was inspected on 08.02.10 & 
(i) BMW Management found satisfactory.
(ii) ETP: found operational
2.Adequacy Report for ETP submitted on 22.08.10 
3.Flue gas analysis report dated 19.04.10, NMR dated30.04.10 & Effluent analsis report dated 25.04.2010 submitted.
	No Action at present
	Hospital  vide letter dated 20.09.11 has submitted NMR from empanelled  Lab showing not meeting the prescribed standard for Insertion loss. 
	Letter for rectification of deficiencies w.r.t accoustic enclosure for DG Set. Also seek fresh Noise Monitoring Report for DG Set. 
	 
	
	
	

	11
	Sir Ganga Ram Hospital, Rajender Nagar, New Delhi - 60
	C-005
	675
	Granted (valid upto 17.03.13) 
	Granted (valid upto 17.03.13) 
	Granted
	Installed
	Installed
	Installed
	1. Informed that having CGWA clearance.     
2.Hospital was inspected on 23.09.09 & (i) ETP found operational.(ii)BMW management was satisfactory.Sample of treated effluent was also collected on 23.09.09 and analysis report of DPCC laboratory shows that parameters within prescribed standards.                                                                                                                                   3. Hospital has submitted spore test report for autoclave and effluent analysis report from empanelled laboratory meeting the prescribed limits                                                                  
	 --------------
	1. Letter received on 22.03.11 regarding enhancement of ETP/STP plant from 500 KLD to 1000 KLD.                     2. Hospital has applied for authorization under HWM Rules on 13.05.11.                      .
	Permission granted for enhancement of ETP/STP capacity from 500 KLD to 1000 KLD issue letter accordingly 
	 
	 
	 
	 

	12
	Society of Unique Hospital & Research Institute ( Multi Super Speciality Hospital & Research Institute)  Sector-19 Dwarka, Delhi.
	NW-414
	400
	…………
	____
	Granted (valid upto 20.10.10)
	__
	____
	___
	1.This is a case of New Hospital.The unit had applied for CTE on 14.07.06 & CTE has been granted. 
2.ETP (design capacity of 150KLD secondary and tertiary treatment) DG sets- 3 nos of 750 KVA capacity each (with acoustic enclosure) 3nos. oil fired boilers (1500Kg/hours). 
3.Environment Clearance given by MoEF vide letter dated 16.05.07. The unit was asked to file item-wise compliance of the EC conditions during the construction and the general conditions. and to commit on affidavit that it will follow the  conditions in the operation phaseand was Asked for following:(i) Affidavit indicating date of start of construction and completion of construction.(ii) Approved architectural drawing(iii) Completion Certificate.
4.As decided in the meeting on 07.09.09 CTE was issued with the condition that acoustic enclosure shall be provided within a month.
5.Unit was inspected on 17.08.10 & following were the observations:
(i) Hospital is under construction.
(ii) D.G set at site found without accoustic enclosure & without adequate stack height.                                                                                                                                      6.Hospital was called for personal hearing on 09.03.11.                                                             
	Representative of the Unit attended personal hearing on 09.03.11 &provided a copy of letter dated 28.10.10 reply to Show Cause Notice dated 15.10.10. it was informed that accoustic enclosure & stack height for 
	1. Letter seeking compliance report issued on 05.04.11.                        2. Hospital has submitted compliance report  on 16.04.11 
	Letter seeking clarification w.r.t    D G Set. 
	 
	 
	 
	 

	 
	 
	 
	 
	 
	 
	 
	 
	 
	 
	 
	DG Set has already been provided & shown the photographs in this regard. The unit will submit present status of point wise compliance alongwith complete set of documents w.r.t conditions of Environmental clearance given by MOEF within 15 days.
	 
	 
	 
	 
	 
	 

	13
	Maharaja Agrasen Hospital, West Punjabi Bagh, New Delhi- 26
	W-003
	350
	Granted (valid upto 31.05.13) 
	Granted (valid upto 31.10.13) 
	Granted
	Installed
	Installed
	Installed
	1.Unit was inspected on 20.08.10 & following are the observations:
(i) Bio-Medical Waste Management  found satisfactory.
(ii) ETP installed however was not operational during the inspection. It was informed that Adequacy Report will be submitted after installation of new tube settlers.
3.Adequacy Report for ETP submitted. 
	CTO Granted
	1. CTO issued .                              2.  Complaint received regarding pollution created by Genset. Hospital was inspected on 20.07.11 and BMW manegement found satisfactory                                                                                3.Letter seeking Noise Monitoring Report for DG Sets issued.                                           4. Reply / NMR awaited. 
	Reminder  .
	 
	 
	 
	 

	14
	Balaji Medical  & Diagnostic Research Centre, 108-A, I.P. Etxn., Patparganj, Delhi-92 
	 
	260
	Granted (valid upto 14.09.13)
	Granted (valid upto 10.12.12)
	Granted
	Installed
	Installed
	Installed
	1. It was informed that  total plot area 4000sq m, and built up area 15000-16000sq. m(appox) and affidavit was submitted. in this regard.
2. As decided in the meeting on 02.03.09, site of unit was inspected by Dr. T.K Joshi's team.
3. Reply received on 6.07.09 stating that they have seperate plot of land & enclose a copy of letter issued by DDA .     
4.Later on as decided by the Committee the file was sent to Dr. Chetna for deciding the requirement of EIA.        
5.As decided  by SEIAA M/s Balaji Medical  & Diagnostic Research Centre, 108-A, I.P. Etxn., Patparganj, Delhi-92  does not fall under EIA.
6. Hospital was inspected on 18.11.10 & following are the main observations :   (i) BMW management found satisfactory.(ii) Hospital has installed ETP (115KLD,found operating, flow meter installed), SWHS,RWHS , CFL & done plantation.  (iii)Treated effluent is used for horticulture & in toilets.(iv) Presently ETP & BMW storage room of this hospital are jointly used by this hospital & another Max Group Hospital (Max Super Speciality Hospital, which was under renovation/upgradation & using only 34 beds ) located in adjacent plot.  Adequacy report for ETP submitted .                                                                                             7. Hospital vide letter dated 28.01.11  requested to change the name of hospital to Max Super Speciality hospital (New Building) (a unit of Balaji Medical  & Diagnostic Research Centre),                                                                                                                                                                                                                                                                                                                                                                                                                                                                                                                                                                                                                                                                                                                                    
	Issue letter regarding change of name in the earlier issued Authorization & Consent to the hospital.
	1.Letter  issued on 15.04.11.                                                          
	No Action.
	 
	 
	 
	 

	15
	Jaipur Golden Hospital, 2, Institutional Area , Sector-3, Rohini, Delhi-85
	NW-003
	256
	Applied on 22.06.11
	Applied on 05.09.11
	Granted
	Installed
	Installed
	Installed 
	1.Hospital was inspected on 05.05.10 & BMW management was found satisfactory and work for ETP was under progress .It was informed that ETP will be completed within 3 months.
2. Construction for additional block near ETP was going on for O.T.  However not applied for CTE for this additional construction.                                                                3. Representative of the Unit attended personal hearing on 23.11.10 & informed regarding status of ETP. Letter was issued seeking Adequacy Report for ETP & application for CTE by 31st December 2010 .                                    
	Reminder.
	1. Letter issued. 2.Reply received on 26.04.11 regarding installation and operation of STP. 
	Reminder for Adequacy Report.
	 
	 
	 
	 

	16
	Escorts Heart Institute & Research Centre, 
Okhla Road New Delhi-25
	S-007
	222
	Granted (valid upto 03.07.12)
	Applied for renewal
	Granted
	Installed
	Installed
	Installed
	1.Hospital  was inspected on 19.05.10 & :
(i)BMWM found satisfactory.
(ii) ETP found operating.
(iii) Adequacy Report was to be submitted. Flow meter was to be installed for ETP.
2. As decided in meeting  on 15.06.10 Reminder for Adequacy Report of ETP & for installation of flow meter was issued.                                                                                                                3. (i)Effluent analysis report of DPCC labdated 03.01.2011 submitted.
(ii)Adequacy report from Jamia Milia Islamia submitted on 10.01.11.                                                                                          
	No Action at present
	1. Hospital has submitted effluent analysis report on 09.08.11
	Put up Adminidstratively.
	 
	 
	 
	 

	17
	Mata Chanan Devi Hospital, C-1, Janak Puri,New Delhi-58 
	W-004
	210
	Granted
(Valid upto 04.05.12)
	28.09.10   (Renewal)
	Granted
	Under Process
	Installed
	Under Process
	1. A Show Cause Notice was issued for refusal of authorization under BMW Rules. Reply received on 29.10.09 informing that work of construction of RWHS,ETP and SWHS has been awarded.
2.Representative of the Unit attended personal hearing on 15.06.10. Reply received on 25.08.10 informing that due to bad weather work of ETP  will be completed within next 2 months.
3 Hospital was inspected on 11.11.10 & following were the main observations  :
(i) BMW management found satisfactory.
(ii) ETP found under construction &  reported that it will be completed within 3 months.
(iii)SWHS was yet to be provided.
(iv) RWHS, plantation & CFL done.                                                                                    4.) Reply dated 19.01.11 received informing that installation of  ETP will be completed as early as possible & adequacy report will also be submitted and SWHS installation will be completed within a month.              
	Final Reminder
	1. Final Reminder issued on 15.04.11.                                   2. Reply received vide letter dated  18.05.11  in which hospital has informed that compliance report will be submitted as soon as possible. 
	Show Cause Notice.
	 
	 
	 
	 

	18
	Rajiv Gandhi Cancer Institute &Research Centre, Sector-V, Rohini, Delhi-85
	NW-005
	241
	Granted (Valid upto 02.07.12)
	Applied on 13.04.10.
	Granted
	Installed
	Under Process
	Installed
	1.Adequacy report submitted on 28.10.09.
2. Letter was issued to unit communicating the deficiences observed during the inspection & also asking to provide RWHS.
3.As decided in the meeting held on 15.06.10 letter issued seeking compliance status w.r.t defeciences observed for STP.
4. As decided in meeting held on 15.09.10 Reminder issued. Reply received on 12.11.10 informing that ETP is running regularly & Sharp boxes are provided.
5.Hospital was inspected on 15.11.10 and following were the main observations : 
(i)BMW Management found satisfactory.
(ii) STP installed however  septic conditions were observed in primary settling tank,& other tanks which indicate proper cleaning of sludge is not being done. (iii) RWHS is to be provided (iv)Earlier installed SWHS removed & new SWHS is reported to be installed.                                                                                                                        6. As decided in meeting held on 23.11.10 Letter for rectification of deficiences  & also for SWHS & RWHS was issued. No reply received. 
	Reminder
	1. Reminder  issued.                   2. No reply received
	Final Reminder.
	 
	 
	 
	 

	19
	Moolchand Hospital, Lajpat Nagar-III , New Delhi-24
	S-008
	256
	Granted (valid upto 30.08.11)
	Applied on 04.08.10 (Renewal)
	Granted
	Installed
	Installed
	Under Process
	1. Letter received on 09.11.09 informing that STP will be completed in next 5 months.   
2. Hospital  was inspected on 08.02.10 & it was observed Construction of STP was not started.
3. As decided in meeting held on 24.02.10 letter issued giving 3 months time for installation of ETP.     
4. As decided in meeting held on 15.06.10 letter issued seeking status of ETP & adequacy Report within a month. Reply received on 18.08.10 informing that they are in process to award the work & will get it completed soon. Copy of structural design for STP also submitted.
5.Hospital was inspected on 11.11.10 & following were main observations :
(i) Segregation of BMW found satisfactory.
(ii) Color coded bags found in use.
(iii) STP/ETP not installed neither any progress w.r.t  construction / excavation observed.                                                                                                                                           6.Hospital was called for personal hearing.
	Representatives of the Unit attended personal hearing on 09.03.11 & informed that digging for ETP has been started & work of ETP is expected to be completed within six months. The unit will send monthly progres report w.r.t ETP and also an affidavit regarding completion of the work within six months. 
Authorization granted.
	1. Authorization  issued.                                                                             2. Letter issued.                       3. Affidavit received on 08.05.11 regarding completion of construction work of ETP within 6 months. 4.Progress report of ETP received on 01.06.11 & 29.08.11.
	Inspection.
	 
	 
	 
	 

	20
	Shanti Mukund Hospital, 2, Institutional Area, Vikas Marg Extension, Delhi-92
	E-003
	144
	Applied on 15.09.10
	Applied on 15.09.10
	Applied
	Installed
	Installed
	Not Installed
	1..NMR submitted from RITES Limited which is not an approved laboratory from DPCC and results do not indicate Insertion Loss. 
2. As per the general decision taken on 06.05.08, letter issued for instllation of ETP, SWHS, RWHS, Replacement of ordinary bulbs with CFLs, Plantation along the periphery of building.
3.Reply received on 20.10.09 asking for exemption from installation of ETP.
4. As decided in the meeting held on 01.06.09 SCN issued. No reply was received.
5.As decided in meeting held on 07.09.09 Show CauseNotice issued.Reply received on 30.10.09 asking for exemption for installation of ETP.
6. It was decided in meeting on 25.11.09 to launch prosecution since not applied for CTE.File was sent to legal cell & the said decision was reconsidered by the Committee on 24.02.2010 & following  decisions were taken " lettter to DHS for deregistration of the hospital with copy to Ministry of Health for Deregistration from the panel of CGHS. Prosecution is  to be launched after evaluating the status of above action. "
7. As decided in meeting held on 15.06.10 Reminder to DHS issued for de-registration of the Hospital.Hospital  was inspected on 19.08.10 & based on deficiences Show Cause Notice was issued.Reply received on 06.09.10 regarding rectification of deficiences observed during inspection.                                                                          8. Representative of the Unit attended personal hearing on 23.11.10 & informed regarding installation of SWHS & RWHS. For ETP he said that there is no space it was made clear that as per the decision taken by DPCC, installation of ETP is mandatory for the hospitals having 50 beds or more. Letter was sent seeking time bound action plan for installation of ETP & for submission of NMR for DG Sets  besides details of RWHS installed.Suitable action be taken against the hospital in case of non compliance                                                                                        
	Show Cause Notice u/s 31 (A) of Air Act & u/s 33 (A) of Water Act for closure of the hospital and disconnection of electricity & water supply to the hospital.
	1. Show Cause Notice u/s 31 (A) of Air Act & u/s 33 (A) of Water Act for closure of the hospital  issued on 21.04.11.                           2. Reply dated 28.04.11, 01.05.11, 03.05.11 & 30.05.11 received regarding DGSet status and asking for opportunity for hearing to explain the progress in this case however present status of ETP not given.
	Representative of the hospital Sh. G.S  Mathur, MS and Sh. N.K.Jain came during the meeting of the committee and given hearing on their request .They informed that    quotations for ETP  were invited however, due to lack of space, lot of changes required w.r.t shifting of pipelines  and also due to  high cost of ETP ,  the  work of  ETP could not be started  and requested for exemption from installation of ETP.                                                                           After hearing the representatives of the hospital and considering the information avialable in the records / inspection reports , representatives  of he hospital were  clearly told that ETP is to be installed as per the decision taken by DPCC & communicated to the hospital  through various letters / notices  in the past.                                                Hospital will submit time bound action plan for installation of ETP & also submit  NMR for DG Sets  .In case of non compliance  suitable action will be taken against the hospital.                                                                                                                            
	 
	 
	 
	 

	21
	Rockland  Hospital,B-33-34, Qutab Institutional Area, New Delhi-16
	S-276
	110
	Granted (valid upto 11.11.13)
	Applied for renewal on 12.07.11
	Granted
	Installed
	Installed
	Installed 
	1.Applied for CTE for additonal 70 beds on 14.07.10.                                                                                            2.Unit was inspected on 08.09.10 & following are the main observations:
(i)BMWM found satisfactory.
(ii)Stack height of D.G set is not adequate.
(iii)ETP was  under construction / installation.  It was informed  that it will be completed within 10 days & adequacy Report will be submitted within a month. 
3.As decided in meeting held on 15.09.10 Letter issued.                                                    4. As decided in meeting held  on  23.11.10 Authorization (renewal) issued.  Letter seeking adequacy report for ETP, application for CTO (renewal) & for increasing the stack height for D.G Set  issued. 
	Reminder
	1. Reminder issued                                2. Application for renewal of CTO received along with NMR, effluent analysis report & adequacy report of ETP  from empanelled lab. Parameters meeting the prescribed limits.                                      3. Reply received informing that construction work  is under process to increase the stack height of DG set. .                                                  
	CTO granted with condition that adequate stack height shall be provided for D G Set (s) .
	 
	 
	 
	 

	22
	Indian Spinal Injuries Centre, Sector-C, Vasant Kunj, New Delhi-70
	SW-004
	145
	Applied for renewal of Authorization  31.01.2011 (Previous Valid upto 14.11.10)
	Applied for renewal on 18.05.11
	Granted
	Installed
	Installed
	Installed
	1. Adequacy report for ETP submitted on 15.09.09.
2.As decided in meeting held on 24.02.10 SCN issued.Reply received on 09.03.10,  informed that  flow Meter has been installed & deficiences have been rectified.
3.Hospital was inspected on 02.09.10 & following are the deficiencies observed:
(i)Storage Containers of BMW not as per rules.
(ii)Proper Segregation was Lacking.
(iii)Though plastic containers provided for sharp however sharp boxes were to be provided.
(iv) Record for BMW found maintained, however proper register/log book for BMW not found maintained.
(v)Hospital was having contract with Mr.Kalicharan Parcha vide letter No. Admn/1435/MISC Corp/10 dated 29.06.10 for collection of waste garbage excluding newspapers w.e.f 1st July 2010 (contact valid for 1 yr).
4.Hospital wasw called for personal hearing on 09.03.11.
 
	Representative of the Unit attended personal hearing on 09.03.11 &informed that the hospital has not received the Show Cause Notice issued by DPCC on 23.11.10. Copy of the said notice was provided to the representative during the hearing. The unit will submit its reply to the said notice & also submit application for renewal of CTO within 15 days. Send letter to India Post regarding status of delivery  of speed post letter issued to Indian Spinal Injuries Centre
	1. Letter issued,                            2. Reply for SCN received on 17.08.11 informing that deficiencies observed during inspection have been rectified. 
	Authorization & Consent to Operate granted.
	 
	 
	 
	 

	23
	Pushpawati Singhania Research Institute, Sheikh Sarai Ph-II , Press Enclave Marg, New Delhi-17
	S-014
	114
	Granted
(valid upto       19.07.13)
	Granted
(valid upto       15.09.12)
	Granted
	Installed
	Installed
	Installed
	1. ETP installed & Adequacy Report submitted.
2.Hospital was inspected on 22.09.10 and deficiencies were observed.Proper segregation of BMW was not observed.ETP found operating.
3. Reply to the Show Cause Notice was received from the hospital and as decided hospital was inspected on 11.02.11 & following were the observations:
(i) ETP installed & found operational. Flow meter provided at the outlet of the ETP.
(ii) BMWM found satisfactory & color coded bags found in use.
(iii) Seprate storage room provided for BMW.
(iv) Record for BMW found maintained.                                                                                                   
	Authorization (renewal) granted.
	Authorization (renewal) issued.                              
	No Action.
	 
	 
	 
	 

	24
	Vidyasagar Institute of Mental  Health and Nuero Sciences, 1, Institutional Area, Nehru Nagar, New Delhi – 65
	S-011
	110
	Granted (valid upto 14.02.14)
	Granted (valid upto
05.11.11)
	Granted
	Installed
	Installed
	Installed
	1 Adequacy Report for ETP submitted.
2. Hospital was inspected on 11.02.11 & following are the observations:
(i)ETP installed & found operational.
(II) Isolated storage area for BMW provided.
(iii) BMW segregation found satisfactory.              
	Authorization & CTO granted.
	Authorization & CTO issued.
	No Action
	 
	 
	 
	 

	25
	Brahm Shakti Hospital & Research Centre, U-1/78, Budh Vihar, Rohini, Delhi – 41
	NW-013
	105
	Granted (Valid upto 12.10.11)
	Applied on 
06.02.09 
	Granted
	Installed
	Installed
	Installed
	1. Reply was received on 31.03.10 informing that ETP has been installed &it  is yet to achieve results as anaerobic & aerobic biological culture is yet not formed. Hospital has requested to give reasonable time to stablise ETP & to  submitt Adequacy Report.                                                                                                              2. Vide letter dated 15.10.09 hospital had submitted assessment report of Effluent Treatment Plant of the hospital which indicates some modifications suggested by the empanelled consultant (GGSIPU).         
3.Hospital was inspected on 31.08.10 & following  deficiencies were observed:
(i)Sharp Waste Management not found proper.
(ii)Isolated storage site not provided.
(iii) Flow Meter not installed at the outlet of ETP.
(iv)Log Book for ETP not properly maintained.
(v)NMR required for D.G Sets.                                          
 3. Hospital was again inspected on 01.11.10 & BMW management found not satisfactory . ETP found operating.
                                                                                                                                                         4. Asdecided  in meeting held on 23.11.10 1, letter for rectification of deficiences  issued. Reply dated 30.12.10 received  informing that work for isolated storage site is under progress, photographs of Flow meter & NMR dated 23.11.10  submitted.
	Letter seeking Final Adequacy Report for the ETP & also regarding completion of the work related to isolated storage site.
	1. Letter issued.                      2. Reply  w.r.t rectification of deficiencies observed during inspection  received  along with Adequacy report & effluent analysis report from empanelled consultant shows parameters meeting the prescribed limits. 
	Send letter  w.r.t  clarification for Adequacy Report.
	 
	 
	 
	 

	26
	R.L.K.C  Hospital ( A Unit of Dr. R.L.Khera Charitable Trust )   Pandav nagar, near . Shadipur Depot, Delhi 08
	W-341
	104
	Granted
(Valid upto 23.01.12)
	Applied on 04.02.10
	Granted
	Installed
	Installed
	Installed
	1.ETP Installed & Adequacy Report submitted & Flow Meter installed.
2.Hospital was inspected on 03.11.10 & following were observed:
(i) SWHS not installed
(ii) Color coded bags are not in use in path lab.
(iii)Segregation was not found proper & it was mixed at isolated  storage site for BMW.                                                                                                                                          3. As decided in meeting held on 23.11.10 , letter for rectification of deficiences & also for SWHS issued. Reply dated 30.12.10 received informing that color coded bags are used, segregation of BMW is being done properly. SWHS will be installed by March 2011.                                                           
	Letter seeking status of SWHS.
	1.Letter issued.          
2.Reply dated 13.06.11 received informing that SWHS is  installed and operational.                  
	Consent  to Operate granted.
	 
	 
	 
	 

	27
	Kukreja Hospital & Heart Centre, C-1, Vishal Enclave, New Delhi-27
	W-018
	103
	Not Applied for Renewal
	Not Applied for Renewal 
	Granted
	Installed
	Installed
	Installed
	1. Earlier granted Authorization expired on 02.09.10 and CTO expired on 26.11.10.
2.ETP Installed & Adequacy Report submitted.                                                                                       3. As decided in meeting held on 23.11.10 Final Reminder for Authorization application & renewal of CTO issued. No reply received. 
	Call for personal hearing.
	1. Letter issued. 
	Representative of the hospital attended personal hearing  and informed that application for renewal of  authorization and consent to operate  were filled up however, could not be submitted  since the concerned person left the hospital. The hospital will submit application for renewal of Authorization and Consent to Operate within 15 days. 
	 
	 
	 
	 

	28
	City Hospital,B-1/1, N.E.A. Pusa Road, New Delhi-60
	C-101
	102
	Granted (Valid upto 25.05.11)
	Applied on 28.12.10
	Granted
	Installed
	Installed
	Installed
	1. ETP Installed & Adequacy Report submitted.
2.Hospital was inspected on 28.10.10 & isolated storage area for BMW provided but found not proper as storage / base found 1 meter deep & cleaning of the area is very difficult & also found very foul smelly.                                                                                     3. As decided in meeting held on  23.11.10,  letter for rectification of deficiences & for application for renewal of CTO issued. 
	Reminder
	1. Letter issued.        2. Reply received regarding rectification of deficiencies. 
	Consent to Operate  granted.
	 
	 
	 
	 

	29
	PCL-JRDC Joint Venture Ltd, Sector -8, Phase-1,Dwarka, Delhi
	SW
	300
	____
	___
	Applied on 29.07.10
	____
	____
	____
	 
	Confirm from SEAC
	  The hospital has got Environment Clearence from SEAC. 
	Consent to Establish under the Air & Water Acts  granted with condition that the unit  will submit   item-wise compliance of the Environmental Clearance conditions during the construction and the general conditions on an Affidavit within a month. Unit to also submit  an Affidavit  that it will follow the  conditions of Environmental Clearance  and  mention the date of start of construction and completion of construction, submit approved architectural drawing and  Completion Certificate.  
	 
	 
	 
	 

	30
	Delhi Heart and Lung Institute, 3-M.M II ,Panchkuian Road,Delhi-55
	C-089
	100
	Granted
(Valid upto 31.08.13)
	Not applied for Renewal (CTO expired on 14.05.11)
	Granted
	Installed
	Installed
	Installed
	1.Hospital was inspected on 09.11.10 & following are the main  observation :
(i) BMW management found satisfactory.
(ii)Seperate Storage Room for BMW provided.
(iii) ETP found installed & Operational.                                                                                                                    2. Hospital  has not applied for renewal of CTO after its expiring on 14.05.2011. 
	No Action at present
	 
	Letter seeking application for renewal of CTO
	 
	 
	 
	 

	31
	MGS Hospital, West Punjabi Bagh , Rohtak Road, New Delhi,-26
	W-008
	100
	Applied for renewal
(PreviousValid upto 20.01.11)on 07.03.11
	 Applied for renewal
(Previous
(Valid upto 07.02.11)on 09.03.11
	Granted
	Installed
	Installed
	Installed
	1.Adequacy report for ETP  was submitted on 02.09.09. 
2. Hospital was inspected on 22.04.10 & 
1)BMW Management found staisfactory.
2)Though containers were provided for Sharp waste however Sharp boxes were yet to be provided.
3) ETP found operational however flow meter was not installed at outlet of ETP.
4) Adequate stack height was not provided for 250 KVA D.G set.
3. As decided in meeting held on 15.09.10 final reminder for rectification of deficiences issued followed by Show Cause Notice.                                                                     4. Reply received on 04.03.11 enclosing letter dated 05.11.10 informing that deficiences pointed out have been rectified.                                                                                                                            
	Inspection
	Hospital was inspected on 03.06.11.  Bio-Medical Waste  Management  found proper.                                                           2.Hospital has submitted application for CTO, adequacy report, Test report for ETP & NMR report , parameters not meeting the prescribed norms.             
	 Authorization & Consent to Operate granted.
	 
	 
	 
	 

	32
	Kalra Hospital, A- 5 & 6, Kirti Nagar, New Delhi-15
	W-012
	100
	Granted    (Valid )
	Granted (Valid )
	Granted
	Installed
	Installed
	Installed
	1.Adequacy report for ETP submitted on 14.06.2010.
2.Hospital was inspected on 03.11.10 & following deficiencies were  observed:
(i)BMW bags mixed with general waste at isolated storage site.
(ii) ETP was not functional                                                                                                                              3. Letter for rectification of deficiences issued. Effluent analysis report of  GGSIPU dated 01.01.11 submitted. Reply dated 17.01.11 submitted informing that proper isoled site, segregation and management of BMW is done alongwith photographs and copy of log sheet for ETP.
	Authorization & CTO Granted
	Authorization & CTO issued. 
	No Action.
	 
	 
	 
	 

	33
	Primus Ortho & Spine Hospital ( of Delhi Hospital Society ),  2, Chandergupt Marg, Chankayapuri, New Delhi-21
	ND-024
	100
	 Applied for renewal
(Previous Valid upto 09.12.10) on 10.03.2011
	Applied for renewal on 16.12.10  
	Granted
	Installed
	Installed
	Installed
	1. Adequacy report for ETP submitted on 20.11.10                  2. As decided in meeting held on 09.03.11 hospital was inspected  on 08.06.11 and following were the main observation :                                                                                                                         (i) Bio-Hazard Symbols not provided.                                                                                        (ii) ETP found installed but non-operational.                           
	Inspection
	1.Hospital was inspected on  08.06.11 and deficiencies were observed.                                           2. Hospital has submitted rectfication measures w.r.t deficiencies observed during inspection along with photographs.                                                                3. Hospital has submitted  effluent analysis report from empanneld laboratory , parameters meeting the prescribed limits. 
	Authorization & Consent to Operate granted.
	 
	 
	 
	 

	34
	G.M.Modi Hospital and Research Centre for Medical Science, Mandir Marg, Saket , New Delhi -17
	S-010
	100
	Granted (valid upto 03.10.13)
	Granted (valid upto 07.10.13)
	Granted
	Installed
	Installed
	Installed
	1..Adequacy Report for ETP from GGSIPU  submitted on 01.04.10.
2. As decided in meeting held on 15.09.10 letter for rectification of defeciences issued. Point wise reply received on 12.11.10 regarding rectification of deficiencies w.r.t ETP 
3.  Hospital was inspected on 04.01.11 & following were the observations:
(i) ETP found operational & flow meter installed at the outlet.
(ii) BMWM found stisfactory.
(iii) Isolated storage room with bio hazard symbol provided.                                                                4.Hospital has submitted Effluent Analysis Report from  empanelled lab.  which shows parameters meeting the prescribed limits.                                                                                                                                
	Authorization & CTO granted.
	1. Authorization & CTO issued.             
	No Action.
	 
	 
	 
	 

	35
	Indian Hospital;AG-35 Shalimar Bagh, Delhi-88
	NW-419
	117
	Applied on 19.02.10
	Applied on 22.02.10
	Applied on 24.06.09
	Not Installed
	Not Installed
	Not Installed
	1.Hospital inspected on 19.06.09 & deficiencies  were observed:
(i)No segregation of BMW 
(ii)No proper color coding 
(iii)Staff was unaware about  BMW rules, 
(iv) RWHS, SWHS & ETP not installed.
2. As decided in the meeting on 08.09.09 Show Cause Notice  u/s 5 of EPA was issued on 11.01.10 
3.Another Show Cause Notice u/s 5 of EPAwas  issued as decided on 30.11.09.
4.Letter issued to DHS for de registration 
5.Reply received on 03.02.10 from DHS informing that Show Cause Notice has been issued  to the unit for cancellation of provisional registration .
6.Reply received on 15.02.10 from hospital informing that they will soon comply with the norms & applied for Authorisation on 19.02.10 & CTO on 22.02.10.
7.As decided in meeting held on 15.06.10 .Letter to DHS  & Show Cause Notice to hospital  was issued. Reply from the Hospital was received .
8.Hospital was inspectd on 15.11.10 & following  deficiencies were observed:
(i) Segregation of BMW not as per rules.
(ii)Isolated area for BMW  needs improvement.(iii) Bio Hazard symbol on containers not provided.(iv) SWHS, RWHS & ETP not provided.(v) No record for BMW maintained.                                                                                                                              9. As decided in meeting held on 23.11.10 letter for rectification of deficiences observed during the inspection issued .  Reply not received.
	Reminder
	1.Letter issued. 
2. Reply not received.
	Call for Personal Hearing in next meeting .
	 
	 
	 
	 

	36
	National Heart Institute, 49- 50, Community Centre, East of Kailash, New Delhi-65
	S-069
	80
	Applied on 14.05.10
	Applied on 22.11.10.
	Granted
	Installed
	Installed
	Installed
	1. Hospital was inspected on 18.02.11 & following were the observations:
(i) Separate containers for Bio Medical Waste provided. Bio Hazard symbols not provided on the containers.
(ii) ETP installed  & found operational during the inspection however foul smell & color  was observed in the discharged water which reveals that ETP is not operating properly.  Flow meter installed at the outlet of ETP.
(iii) Bio Hazard symbol at storage site provided.        
	Letter for rectification of Deficiences observed.
	1. Letter issued                          2. Reply received regarding rectification of deficiencies along with affidavit & photographs . 
	Authorization & Consent to Operate  granted.
	 
	 
	 
	 

	37
	Jessa Ram Hospital (A unit of R.B.Seth Jessa Ram & Bros Charitable Hospital)  WEA Karol Bagh,New Delhi -05
	C-008
	90
	Granted (valid upto 17.08.13.)
	 Applied on 10.08.11
	Granted
	Installed
	Installed
	Installed 
	1.Hospital was inspected on 09.02.11 & following were the observations:
(i) Segregation of BMW found proper.Color coded bags found in use. Separate isolated  area has been provided.
(ii) ETP/STP found under  construction & as informed will be completed by March 2011.
	Authorization granted. 
Letter seeking fresh application for CTO,  status of RWHS and to submitt the Adequacy Report of ETP  within a month.
	1. Authorization issued.                               2. Letter issued.              3. hospital has submitted application of CTO   on 10.08.11 along with NMR, effluent analysis report, adequacy report of ETP & stack monitoring report from empanelled laboratory and  parameters meeting the prescribed limits. 
	Consent to Operate granted.
	 
	 
	 
	 

	38
	Jivodaya Hospital, Ashok Vihar, Phase-1, Delhi-52
	NW-014
	65
	Not Applied for renewal  (Expired on  19.03.11)
	Not Applied for renewal  (Expired on 03.02.11)
	Granted
	Installed
	Installed
	Not Installed
(since DHS registration for 40 beds only)
	1.Hospital was inspected on 12.08.10 & following were the observations:
(i)BMWM needs improvement w.r.t colour coding, isolated storage site not found proper, record keeping for BMW not found maintained, training is required for BMWM.
(ii)It is charitable hospital & having occupancy about 20-30%  at a time.
2. Hospital has got registration from DHS for 40 beds vide registration of DHS Dated 30.07.10.
3. As decided in meeting held on 15.09.10 letter issued  seeking an affidavit from the hospital that if the occupied number of beds exceeds 50 the hospital will be required to provide ETP.                                                                                                                      4. As decided in meeting held on 23.11.10 reminder letter regarding affidavit issued.
	Final Reminder
	1. Final reminder issued.                                                                 2.Affidavit received. 
	Letter seeking application for renewal of Authorization &  Consent to Operate  .
	 
	 
	 
	 

	39
	Shri Ram Singh Memorial Hospital, B-26, East Krishna Nagar, New Delhi-51. 
	E-011
	100
	Applied on 03.03.10
	Applied on 23.07.09
	Granted
	__
	__
	___
	1. This is case of hospital which was earlier having 27 beds & was in Committee No. 2. Now the hospital has applied for authorisation for 100 beds under BMW Rules. 
2.As decided in the meeting held on 15.09.10 Letter for  installation of ETP, ,RWHS,CFL & for Plantation within 3 months issued.
3.Hospital was inspected on 08.11.10 & following  deficiencies  were observed:
(i) SWHS, RWHS, ETP not installed, plantation not done.
(ii)Separate  Storage site for BMW not provided. Segregation of BMW not as per rules.
(iii)Syringe Cutter/ Needle destroyer not provided.
(iv) Staff was unaware about segregation of BMW.
(v) Records for BMW Not maintained.                                                                                                                     4. As decided in meeting held on 23.11.10 letter for rectification of deficiences issued.  No reply received. 
	Reminder Letter
	1. Letter issued. 
2. Reply not Received
	Call for Personal Hearing in next meeting.
	 
	 
	 
	 

	40
	Guru Harikishan,  Bala Sahib Gurudwara Complex, New Delhi-14
	S-035
	50
	Applied on 30.07.10
	Not applied
	Not applied
	_____
	____
	Not Installed
	1.This hospital was earlier having 24 beds & was dealt by BMW Committee No. 
2. The hospital has applied  for authorisation under BMW Rules for 50 beds on 30.07.10                                                                                                                                                                                        3. As decided in meeting held on 23.11.10 Letter seeking application for CTE & CTO within a month and also was for installation of ETP, SWHS, RWHS, CFL & for Plantation within 3 months issued on 21.04.11. 
	Reminder
	1. Letter issued.        2. Reply received regarding reduction of bed strength from 50 to 45. 
	Inspection.
	 
	 
	 
	 

	41
	Deepak Memorial Hospital, 5, Institutional Area,  Vikas Marg Extn. 2 , Delhi-92
	E-006
	100
	Applied on 15.02.10
	Applied 16.09.11
	Granted for existing hospital
& also for proposed new building of hospital
 
	Installed
	Installed
	Installed
	1. As decided in meeting on 25.11.09 letter issued Asking  for CTE for proposed hospital and an affidavit regarding built up area. 
2. Reply received on 13.04.10 informing that they will apply for CTE as soon as they receive approval from MCD for new building. Hospital also informed that ETP will be  installed in new building.
3. Hospital was  inspected on 03.05.10 &
(i) Bio Hazard symbol were not observed on the containers.
(ii)Sharp Box Container not provided at the site.
4.Reply  received on  11.08.10 informing that Sharp boxes have been provided, Bio Hazard symbols have been provided . Hospital has informed that they will apply for CTE on getting clearance from MCD For new Building.
5.As decided in meeting held on 15.09.10, Show Cause Notice issued. Reply received, informed that new building plan is pending with DDA for approval. CTE will be submitted as soon as building plans are cleared by civil authorities.       6.Hospital was called for personal hearing on 09.03.11
	Representatives of the Unit attended personal hearing on 09.03.11 & informed that they have submitted new building plan to DDA & they are awiating the sanction from DDA/MCD, old hospital buiding is to be demolished before starting the construction of new hospital building. The unit is directed to take steps  for treating the waste water generated from the hospital & work out for putting  up proposed ETP first and inform DPCC in this regard within 15 days.
CTE granted for proposed new building of hospital..
	1.Letter issued.                                             2. CTE issued for new building of hospital.                                                                   3. Reply received regarding invitation for proposals of ETP.                                                  4. Hospital has applied for  CTO along with adequacy report , effluent analysis report & NMR (parameters meeting the prescribed limits) from empanelled consultants on 14.09.11. 
	Authorization and  Consent to Operate  granted for existing hospital.
	 
	 
	 
	 

	42
	Nazar Kanwar Surana Hospital(A Unit of Bram Health Care (P) LTD), 219/220, N.K. Surana Marg, Gulabi Bagh, Delhi - 07
	N-095
	70
	Applied on 08.04.10
	Applied on 
05.09.08
(Three years lapsed)
	Applied on 05.09.08
	Installed
	Installed
	Installed
	1.Hospital  was called for personal hearing on 27.04.09 &Letter was  Issued for ETP etc.
2.Reply recieved on 02.06.09 stating that they need time of 2 months for installation of SWHS,RWHS,ETP & CFL
3.As decided in meeting on 25.11.09 Show Cause Notice  u/s 5 of EPA was issued. Letter to DHS for de registration of the hospital issued.Reply received on 04.02.10 from DHS informing that Show Cause Notice has been issued  to the hospital for cancellation of provisional registration and later on vide letter dated 08.03.10 it was informed by DHS that DHS has cancelled the registration of the Hospital.
4. As decided in meeting held on 15.06.10 letter issued to the hospital that Application for Consent & Authorisation  become infructous since DHS has cancelled the registration of the hospital vide letter dated 08.03.10.                                                                                       5. Hospital was inspected on 11.11.10 and deficiencies were observed w.r.t BMW management.  Components /Parts of ETP (in dismantled condition )found lying in the adjoining plot .                                                                                                              6. DHS has given fresh authorization to the hospital for 105 beds valid upto 31.03.2011.                                                                                                                                              7. As decided in meeting held on 23.11.10 letter issued to DHS  seeking clarification regarding registration certificate issued to the hospital .
	It is brought to the notice that this hospital has taken over by the new management which got new registration from DHS for 105 beds (valid upto 31.03.11). 
Send letter to DHS referring our earlier letter .
Seek fresh application for CTE, CTO & Authorization from the hospital
	1. Letters issued to hospital and DHS.                         2. Reply received from DHS.                       3.Reply received from hospital regarding rectification of deficiencies in the form of affidavit.                                  4. Application for CTE & CTO not received. 
	Inspection.
	 
	 
	 
	 

	43
	Venu Eye Institute & Research Centre, 1/31, Institutional Area, Phase – 2 ,  Sheikh Sarai, New Delhi-17
	S-017
	60
	Granted (valid upto 02.03.13)
	Applied on 14.09.10
	Granted
	Not Installed
	Not Installed
	Earlier Exempted by BMW Committee No.1.
	1.Hospital was inspected on 11.02.11. & following were the observations:
(i) BMWM found satisfactory. Needle Destroyers provided.
(ii) Seperate storage room for BMW provided.
(iii)SWHS & RWHS not installed.
 
	Authorization Granted.
Letter seeking present status of RWHS & SWHS.
	1. Authorization issued.                               2. Letter issued.              3. Reply received stating they have quoted 2 organization w.r.t installation of RWHS & SWHS and work will be completed as soon as possible.                
	Reminder for RWHS & SWHS.
	 
	 
	 
	 

	44
	Jeewan Hospital & Nursing Home Pvt. Ltd., Gate No.1  Jeewan Nagar, New Delhi-14
	S-016
	60
	 Applied on 22.06.2011
	Applied on 10.06.11
	Granted
	Installed
	Installed
	Installed
	1.Hospital attended personal hearing on 24.02.10 and was asked for installation of ETP, SWHS, RWHS, CFL & for Plantation.
2.Reply received on 19.04.10 informing that  ETP will be installed within 3 months & SWHS, RWHS, replacement with CFL will be done in 3 months in phase wise manner.                                                                                                                    3. As decided in meeting held on 23.11.10 ,  reminder was issued seeking status w.r.t 5 points &  adequacy report for ETP. 
	Final Reminder
	1. Final reminder issued.
2. Application for authorization & CTO received.                                 3. Hospital has submitted fresh effluent analysis report for ETP, NMR & adequacy report from empanelled consultant and parameters meeting the prescribed limits. 
	Authorization & Consent to Operate   granted.
	 
	 
	 
	 

	45
	Red Cross Maternity & Child care Hospital,  New Seemapuri, Delhi-95
	NE-006
	57
	Granted
(Valid upto 28.07.13)
	Applied on 03.1.08 (3 yrs lapsed)
	Granted
	Not Installed
	Not Installed
	Not Installed
	1.Hospital attended personal hearing on 24.02.10. and was asked to instal   ETP, SWHS, RWHS, CFL & do Plantation.
2.Hospital was inspectedon 20.08.10 & following were the observations:
(i)BMWM found satisfactory.(ii)Regarding ETP it was informed that although it is 57 bedded hospital but the occupancy is only 40% & they generate only 8KLD  of waste water. They requested for exemption as it is charitable hospital(iii)SWHS & RWHS  matter is taken up with higher authorities.                                                                                       3.Letter was received on 22.09.10 along with daily patient admission list. and informed that Conversion to CFLs  done. 
4.As decided in meeting held on 15.09.10 Matter regarding ETP etc was discussed with the Nodal Officer of the Hospital & it was assured that he will inform after taking up the matter with higher ups in  the hospital.
	Letter seeking fresh application for CTO & for rest of the things SWHS, RWHS & ETP.
	1.Letter issued                                  2. Reply not received. 
	Call for personal hearing in next meeting.
	 
	 
	 
	 

	46
	Metro Hospital & Cancer Institute ( Earlier Anand Hospital,) 21, Community Centre, Preet Vihar, Delhi-92
	E-007
	155
	Granted (valid upto 27.05.13)
	Applied on 08.03.11
	Granted
	Installed
	Installed
	 Installed
	1.Earlier it was 52 bedded Hospital and new building constructed without applying for additional / new construction. 
2. As decided in meeting held on 15.06.10 SCN issued. Hospital was inspected on  19.08.10  and deficiencies observed w.r.t BMW Management. ETP, SWHS, RWHS were not provided. Show Cause Notice u/s 5 of EPA was issued. 
3. A complaint was received against the hospital and hospital was inspected and BMW management found satisfactory. 
	Representatives of the Unit attended personal hearing on 09.03.11 & informed regarding installation of ETP, SWHS, RWHS and also informed that applied for CTO on 08.03.11 . The unit will submit adequacy report for ETP & NMR for DG Set(s) within a month and also apply for CTE for additional 92 beds which have been added after the garnt of earlier CTE by DPCC.
Authorization Granted.
	1. Authorization issued.                               2.Letter issued.                             3. Complaint regarding excessive pollution created by  the hospital received & hospital was inspected & letter was issued to control noise.                                      4. Reply received regarding rectification of deficencies on 08.08.11 along with photographs. 
	Consent to Operate granted.
	 
	 
	 
	 

	47
	Jeevan Anmol Hospital, Mayur Vihar Phase-I , Delhi-91
	E-015
	51
	Applied on 15.01.09
	Applied on 19.11.07
(3 years lapsed)
	Granted
	Installed
	Installed
	Under Process
	1.As decided in meeting held on 24.02.10 letter issued for rectification of deficiencies.Reply received on  29.03.10 informing that they have awarded work for installation of ETP but the execution work was stopped due to death in family.
2.Unit was inspected on 09.08.10 & following are main observations:
(i)BMWM found satisfactory.
(ii) CFL are used.
(iii) ETP & RWHS not installed, matter is the under process
3.As decided in meetng held on 15.09.10 SCN u/s 5 of EPA issued. Reply received on 25.10.10 informing about rectification of deficiencies & informed that ETP will be installed within 3-4 months.                                                                                                                                                4. As deciced in meeting held on 23.11.10  a letter was issued seeking documentry evidance for steps taken for installation of ETP, its  present status and  fresh application for CTO.
	Reminder .
	1.Reminder letter issued.
2. Reply received stating ETP will be installed in a month, along with photographs of work done so far.   
	Authorization granted .                                       Letter seeking  fresh application for CTO ,  status of  ETP & Adequacy report.
	 
	 
	 
	 

	48
	Bhatia Global Hospital  307-308, Ambica Vihar, New Delhi-87
	W-007
	50
	Applied on  11.06.10.
	Applied on 11.06.10
	Granted
	Installed
	Installed
	Under Process
	1.Representative of the hospital attended personal hearing on 15.09.10 and was asked to provide SWHS &  RWHS and submit Adequacy Report for ETP & NMR for D.G Sets within a month and accordingly letter was issued to the hospital.                                                                                                                                            2. As decided in meeting held on 23.11.10 Reminder issued. NMR for DG set submitted. Reply dated 11.01.11 received.                                                                                                                     3. As decided in meeting held on 09.03.11 hospital was inspected and following were the main observations :                                                                                        (i) Isolated storage site not provided.                                                                           (ii) Bio-Hazard symbols not provided on containers.                                                                
	Inspection
	1. Hospital was inspected on 06.06.11                                2.Letter regarding installation of ETP & SWHS (photogarph enclosed)  along with adequacy report from empanelled lab. showing  parameters within limit.                                   3. Affidavit for rectification of deficiencies (observed during inspection) along wth photographs received.                                    
	Authorization & Consent to Operate  granted.
	 
	 
	 
	 

	49
	Santom Hospital, D-6 Prashant Vihar, Delhi-85 
	NW
	52
	_______ 
	____
	Granted
	Not Installed
	Not Installed
	Not Installed
	This is a case of new hospital situated at  D-6 Prashant Vihar, Delhi-85  ,applied for CTE on 23.08.10.                                                                                                                             2.As decided in meeting 23.11.10 letter   asking  for installation of ETP, SWHS, RWHS, CFL & for Plantation issued. No reply  received.
	Reminder
	1.Letter issued.                            2. Reply not received. 
	Final Reminder.
	 
	 
	 
	 

	50
	Jeewan Hospital & Nursing Home Gate No.2,Jeewan Nagar, Opp.Maharani Bagh, New Delhi-14
	S-022
	50
	Not applied for renewal
(Previous expired on  13.01.11)
	Granted
( Valid  upto 03.11.11)
	Granted
	Installed
	Under Process
	Installed
	1.As decided in meeting held on 24.02.10 Letter for  installation of ETP, ,RWHS,CFL & for Plantation within 3 months issued.Reply received on 06.04.10 informing that they have started the process in this regard
2.Adequacy Report for ETP submitted on 25.08.10.
3.As decided in meeting held on 15.09.10 Letter issued  for providing RWHS within a month.                                                                                                                                                4. As decided in meeting held on 23.11.10  Letter seeking application for renewal of   CTO & status of RWHS within a month issued.   Reply dated 05.01.11 submitted  alongwith drawings of RWHS & CGWA clearance.
	Letter seeking fresh application for Authorization & for rest of the things .
	1. Letter issued.         2. Reply not received . 
	ShowCause Notice
	 
	 
	 
	 

	51
	Action Cancer Hospital (A unit of Manav Sevarth Trust) FC-34, A-4, Paschim Vihar Delhi-63
	W-408
	150
	Granted (valid upto 22.03.13)
	Granted (valid upto 09.12.13)
	Granted
	 
	Installed
	Installed
	1. This is a case of cancer hospital, applied for CTE on 20.01.10 & it is adajecent to existing Sri Balaji Action Medical institute at same address.
2. Having less than 20,000 sq. meter built up area.
3. Hospital was inspected on 13.08.10 & following were the observations.
(i) Hospital is operational since 02.04.10 & occupancy is about 30 beds.
(ii) BMWM found satisfactory.
(iii) ETP installed however was to be made functional.                                                              4. Reminder was  issued.  Adequacy report  for ETP submitted.
	Authorization granted.
CTO granted with the condition that unit shall install SWHS within a month.
	1. Authorization  &
CTO issued.                     
	Letter seeking status of SWHS.
	 
	 
	 
	 

	52
	Rescue Hospital India Pvt. Ltd., S-5, Vishvas Park, Behind Sector-3, Petrol Pump, Dwarka, Delhi
	SW
	50
	Applied on 12.07.10.
	Not Applied 
	Not Applied 
	Not Installed
	Installed
	Not Installed
	1. Applied for Authorisation under BMW Rules on 12.07.10.
2. As decided in meeting held on 15.09.10 Letter issued  seeking application for CTE & CTO within a month and also  for installation of ETP, SWHS, RWHS, CFL & for Plantation within 3 months.
3.Hospital was inspected on 04.01.11 & following were the observations:
(i) BMW found mixed with general waste.
(ii) No seperate storage site provided for BMW.                                                                                                             (iii) Staff unaware about BMW Rules
(iv) adequate stack height not provided with D.G Sets.
(v) SWHS & ETP not installed.
(vi) Records for Bio Medical Waste not maintained.
(vii) Color coded bags & containers not found in use.                                                                                                                 
	Final Reminder
	1.Letter issued.                            2. Reply not received. 
	Show Cause Notice.
	 
	 
	 
	 

	53
	Bansal Hospital, A-1, New Friends Colony, New Delhi-65
	S-273
	50
	Applied on 14.06.10
	Not Applied 
	Not Applied 
	Not Installed
	Not Installed
	Not Installed
	1.Hospital was earlier having 10 beds & was dealt by BMW Committee No.2.
2. Hospital has now applied for Authorisation on 14.06.10 for 50 beds.
3. As decided in meeting held on 15.09.10 Letter issued  seeking application for CTE & CTO within a month and also  for installation of ETP, SWHS, RWHS, CFL & for Plantation within 3 months.
4. Hospital was inspected on 04.01.11. & following were the observations:
(i) Segregation of BMW found satisfactory.
(ii) Color coded containers & bags found in use.
(iii) ETP, SWHS & RWHS not installed.
(iv) Having 2 D.G sets with proper stack height.                                                                                   5. Hospital has informed that they have redued the bed strength from 50 to 40 beds. 
	Final Reminder
	1. Hospital has informed that they have redued the bed strength from 50 to 40 beds. In view of above letter seeking copy of latest Registration  with DHS was issued on 19.07.11.                                                                         2. Reply received on 09.08.11 stating that registration certificate of year 2011-2012 is still awaited.              
	Inspection.
	 
	 
	 
	 

	54
	Max  Hospital ( A unit of Max Health Care Institute Ltd.) HB Twin Towers, A 2,3,&4, Netaji Subash Place, Wazirpur, Distt. Centre, Delhi-34
	NW-017
	 
	Granted (Valid upto 28.12.12)
	Applied for renewal on 07.01.2011
(Earlier Valid upto 16.01.11) 
	Granted
	Installed
	Installed
	Installed
	1.Letter  received on 29.05.09 stating that mercury based instruments have been phased out.
2.ETP installed &.Adequacy Report submitted on 20.01.09.
3. Letter  recieved on 22.07.09 stating that they do not require CGWA clearance & submitted copy of orders from goverment of NCT Delhi.
4.As decided in the meeting held on 01.06.09 letter issued to the unit to file permission from DJB for ground water extraction as per new orders. Hospital was inspected on 18.08.09 &  BMW Management  was found satisfactory & ETP found operational.                                                                                                                                                                      5. As decided in meeting held on 09.03.11 Hospital was inspected on 03.06.2011. Bio-Medical Waste management found proper. 
	Inspection
	1. Hospital was inspected on 03.06.2011. Bio-Medical Waste Management found proper. 
	 Consent to Operate  granted.
	 
	 
	 
	 

	55
	Max Super Speciality Hospital ( A unit of Max Health care Institute limited.)     FC-50 Block C & D Shalimar Bagh Delhi-88 (Correspondence Address Max Health Care Institute Ltd. Max House , Okhla New Delhi-20
	NW-406
	300
	Applied on 28.06.2011
	Applied on 28.06.11
	Granted
	Installed
	Installed
	Installed
	1.This is a case of Hospital with Built Up Area 27447 sq. mts. Plot Area- 10000 sq.mts.
2.EC was granted by SEIAA vide letter dated 28.08.09. 
3. As decided in meeting held on 08.09.09, CTE issued on 23.10.09 and valid upto 14.10.10.                                                                                     4. Vide letter dated 26.11.10 hospital has requested to extend the CTE issued.                                                                                                                       5. DG set 750KVA - 2 Nos.                                                                                                 6. Water Consumption - 285 KLD, Waste water- 113 KLD       7. STP installed- 125 KLD , ETP- 12.5 KLD                                  
	Ask the unit to deposit fee for one year(extended period) at the time of submission of application for Consent to Operate. 
	1. Letter issued.                2. Application for CTO  & Authorization received.                                   3. Letter received regarding status of 5 points.                   4. Hospital has submitted  effluent analysis report (parameters meeting the prescribed limits)  from empanelled lab.                  5. Adequacy Report for ETP is yet to be submitted.                                    
	Inspection.
	 
	 
	 
	 

	56
	Maharishi Ayurveda Hospital (Managed by Khosla Medical Institute Research Society), BP Block , Shalimar Bagh, Delhi-88
	NW
	70
	Applied on 15.02.11
	Not Applied
	Not Applied
	 Installed. 
	Not Installed
	Represenation received
	1.It is an ayurvedic hospital at Shalimar Bagh Delhi, having 70 beds for which the hospital has applied for Authorization to DPCC.
2. The hospital is having 2 DG Sets of 180 & 100 KVA. 
3. The unit has not applied for CTE & CTO.                                  4. SWHS, CFL, Plantation provided.
	Letter seeking application for CTE & CTO within a month and also ask for installation of ETP, SWHS, RWHS, CFL & for Plantation within 3 months.
	1. Letter issued on 21.04.11                            2. Reply received on 29.04.11  stating that :                                  (i)They do not require ETP as they are using ayurveda herbs instead of chemicals.                        (ii) SWHS installed.                                                                       (iii) CFL done                     (iv) have plantation along the periphery of hospital .                                         
	Inspection.
	 
	 
	 
	 

	57
	AL-Shifa Multi Speciality Hospital Research Centre, D- 337, Dawat Nagar, Abul Fazal Enclave Jamia Nagar, Okhla. Delhi 25
	S 
	50
	04.05.2011
	Not Applied
	Not Applied
	Not Installed 
	Not Installed 
	Not Installed 
	1. It is a multispeciality hospital having 50 beds                                                                                              2. Hospital has not applied for CTO & CTE.                                                                           3. Complaint was received and inspection was conducted by DPCC officials on 09.08.11. Deficiency observed w.r.t BMW management & D.G set stack height. Letter for rectification of deficiencies issued on 24.08.2011. Reply not received.
	-----------
	-----------
	Reminder.
	 
	 
	 
	 

	58
	B.M. Gupta Nursing Home, H -11, 12 ,14, 13 & 15, Uttam nagar, NEW DELHI -59
	W-021
	50
	Applied for renewal on 20.06.11 (Previous authorization valid upto 29.01.11)
	Not Applied
	Not Applied
	Not Installed
	Not Installed
	Not Installed
	1.It is a Hospital which increased the beds from 32 to 50.                                                                                                                                                         2. Not applied for CTO & CTE.
	-----------
	-----------
	Letter seeking application for CTE & CTO within a month and also ask for installation of ETP, SWHS, RWHS, CFL & for Plantation within 3 months.
	 
	 
	 
	 

	59
	Missionaries of Charity , Prem Nagar Leprosy Home, Tahirpur, Seemapuri.                Delhi-95
	NE-
	55
	02.05.2011
	Not Applied
	Not Applied
	Not Installed
	Not Installed
	Not Installed
	1. It is a charitable hospital having 55 beds                                                                                                                                            2. The hospital has not applied for CTO & CTE. 
	-----------
	-----------
	Letter seeking application for CTE & CTO within a month and also ask for installation of ETP, SWHS, RWHS, CFL & for Plantation within 3 months.
	 
	 
	 
	 

	60
	"Shri Agrasen International Hospital" (of Shri Agrasen North EX Welfare Society (REGD) ) l, Plot no. - PSP, Sec - 22, Rohini,             New Delhi 85
	NW-
	455
	 ----
	 ----
	21.06.11
	 
	 
	 
	1. It is a fresh case of hospital.                                                                                                    2. Applied for CTE on 21.06.2011                                                                                                 3. Environmental clearance obtained by the hospital from SEAC vide letter Dated 30.05.11                                                                                                                                     4. The hospital is yet to start construction.                                                                                  5. Plot Area - 10000 Sq.meter, Built up Area-   35100 sq. meter.                                                                                                               6. Expected Date of start of Construction 2011.                                                             7. STP- 280 KLD, Water consumption- 398KLD, Waste (Water Discharge- 233 KLD)                                                                                                                         8. DG Sets - 2 X 1000 KVA , 1 X 500 KVA                                                                                                                                                                             
	-----------
	-----------
	Consent to Establish under the Air & Water Acts  granted with condition that the unit  will submit   item-wise compliance of the Environmental Clearence conditions during the construction and the general conditions on an Affidavit within a month. Unit to also submit  an Affidavit  that it will follow the  conditions of Environmental Clearence  and  mention the date of start of construction and completion of construction, submit approved architectural drawing and  Completion Certificate.  
	 
	 
	 
	 

	61
	Madhukar Multispecialty Hospitals and Reaserch Center, C-4/35, Safdarjung Development Area, New Delhi - 16
	S-318
	125
	 ----
	 ----
	Granted 
	 ---
	 ---
	 ---
	1. Applied for CTE on 24-07-08.                                                                                                                                                                                   2.  Proposed date of commissioning 2010. 3. Reply dated 14.10.08 received informing: ETP will be installed at the time of construction. Noise monitoring will be sent after installation of DG sets. Applied for CGWA clearance.                                                                                                                                         3. SIT inspected on 29.10.08                                                                                                    4. Water Consumption- 105 KLD, Waste water- 75 KLD                                                                                                                             5. As decided on 30.10.08 CTE was issued on 11.11.08.(for one year valid upto 09.11.09)
	-----------
	Hospital has requested vide letter dated 15.04.11 for Extension of Consent to Establish  up to November, 2012.
	Ask the unit to deposit fee for additional period (extended period) at the time of submission of application for Consent to Operate.
	 
	 
	 
	 

	62
	Shishu Sadan Multispeciality Children's Hospital A-1/169 A, Janakpuri,       New Delhi-18      
	    W
	50
	Applied on 24.08.11
	Not Applied
	 24.08.2011
	Not Installed
	Not Installed
	Not Installed
	1. Hospital has applied  for Authorization on 24.08.11                                                                                                    2.  Hospital has not applied for CTO.                                                                                              3. Year of Commencement mentioned as 15.09.2011.                                                                       4. Built up Area 1000 sq. meter.                                                                                                5. Water Consumption 10 KLD and waste water Discharge  5KLD.                                                                                                           6. ETP shall be installed.                                                                       7. D.G set of 125 KVA
	   -------------
	          ---------------
	Consent to Establish  granted. Letter seeking application for CTO within a month and also ask for installation of ETP, SWHS, RWHS, CFL & for Plantation within 3 months.
	 
	 
	 
	 

	63
	Bhagwati Hospital ( A unit of Sarvodaya Health Foundation (Regd.) Delhi), CS/OCF-6, Sector 13, Rohini, Delhi -85
	NW
	80
	Applied on 22.09.11
	Applied on 22.09.11
	Applied on 22.09.11
	 ----
	 ----
	 ----
	1. Earlier  Hospital  was granted authorization for 30 beds . Now it has applied for CTE, CTO  and for Authorization on  22.09.11 for 80 beds.                                                                                                                          2.  As per application ETP shall be installed. Having 1000 Sq. Meter plot area & 1275 Sq.meter of Built up area.                                                   3. Water consumption   35 KLD &  waste water discharge  28 KLD.  4. DG  Set of 250 KVA with acoustic treated room.    
	 
	 
	Consent to Establish  granted.  Ask for installation of  ETP, SWHS, RWHS, CFL & for Plantation within 3 months.
	
	
	
	


	Sl No.
	Name and Address of Unit
	Distt. No.
	Bed (No.)
	Authorization Status
	CTO Status 
	CTE Status 
	Status on 5 Points 
	Brief Status
	Recommendations in the meeting on 09.03.11


	ATR/ Status
	Decisions Recommended in the Meeting on 27.09.11

	1.
	Lok Nayak Hospital, 

J. L. Nehru Marg, New Delhi-2
	C-001
	1649


	Applied for renewal on 17.02.10
	Applied on 03.03.08

(3 years lapsed) 
	Not Applied.


	ETP-installed (found  non functional) SWHS-under process

RWHS-not provided due to high water table

CFL-partially done

Plantation- under process.
	1.D.O. Letters issued on 23.03.09 and 14.05.09 to MS of Hospital with a copy to PS to Minister for Health, Delhi and Pr. Secy. (Health) GNCT Delhi, for rectification of the deficiencies observed during the inspection on 10.02.09, asked the unit to submit fresh monitoring report for incinerator, file compliance report on the five points mentioned in our earlier letters and submit Adequacy Report for ETP along with application for CTE. 

2. A complaint was received on 28.04.09 against the hospital regarding not managing BMW as per rules.

3. A news item was published in the Times of India on 06.04.09 regarding improper management of BMW particularly Sharp Waste Management.

4. Another complaint was received against the hospital regarding improper management of BMW. An inspection was conducted, M.S of the hospital attended personal hearing on 04.09.09. The hospital was asked to apply for CTE and also submit compliance report alongwith   status w.r.t 5 points & other deficiencies communicated to the hospital. Also the name of the hospital was included in the common D.O.Letter issued to Pr. Secy (Health) &  Pr.Secy(PWD), GNCT Delhi for the compliance on the 5 points. 

5.As decided in the meeting on 25.11.09, Show Cause Notice from M.S.DPCC to M.S. of the Hospital was issued. D.O..Letters from Chairman, DPCC to Pr. Secy (Health) & Pr.Secy (PWD) was issued mentioning the deficiencies. Hospital was advised not to operate the incinerator till Air Pollution Control Device (APCD) installed with the Incinerator is made operational. 

6. Hospital was inspected on 10.06.10 & Temp. in Primary and secondary Chamber of incinerator was found less than the required temperature. Secondary Chamber was not working due to damaged refractory which requires repair/ change. Segregation of BMW was not proper, mixing of BMW observed. Though port hole & platform provided however proper ladder has not been provided. Proper isolated storage facility for incinerable BMW not provided. Records keeping not proper, needs improvement. ETP found not operational/ defunct. Acoustic treatment for some DG sets was not done.

7. As decided in meeting  on 2.3.10, D.O. letter from M.S DPCC to M.S. of the hospital, with copy to Pr.Secy (Health), seeking compliance / status report including fresh monitoring report for Incinerator within a month was issued. 

8. As decided in meeting on 15.06.10, Directions were issued on 23.06.10 u/s 5 of EPA for not operating the incinerator, and for rectification of the deficiencies observed during the inspection, and also for operating the ETP. Hospital has stopped operation of incinerator. For the rest of deficiencies hospital is yet to reply. Letter received w.r.t 5 points.

9. As decided in the meeting held on 15.09.10, letter was issued seeking compliance w.r.t Directions issued on 23.06.10 and also asked to apply for CTE.

10. Hospital was inspected on 15.02.11 and following deficiencies were observed:

    (i) Segregation at isolated/isolated site was not found proper as well as at casualty and trauma centre.

   (ii) ETP was not functional, no records, logbooks shown of ETP/Autoclave.

   (iii) Needle destroyer was also not functional.

   (iv) Records not maintained/not shown for Bio Medical Waste.

   (v) General Waste and Plastic Waste found mixed with incinerable waste.

   (vi) General Waste and Plastic Waste was kept in Yellow bags.       
	1. Show Cause Notice u/s 5 of EPA including refusal of Authorization also ask for fresh application for CTO since 3 years lapsed from the date of previous application.

2. Call for personal hearing in the next meeting.


	1. Show Cause Notice u/s 5 of EPA issued  on 10.05.11.   

2. Reply dated  25.05.11 received regarding rectification of deficiencies. It is informed that ETP will be functional after 10.04.11 and requested DPCC official team to visit hospital after the said date.

3. Hospital has submitted  effluent  analysis report of STP but not from empanelled laboratory.. 
	Representatives of  Lok Nayak Hospital attended personal hearing on  27.09.11 and informed  that rectification measures taken and also given a letter regarding status w.r.t 5 points etc. ETP is yet to become operational. 

Hospital be inspected for present status of compliance. 
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	All India Institute of Medical Sciences, Ansari Nagar, New Delhi-29
	S-001
	1961
	Applied for renewal on     10.05.11 


	Applied on 12.09.08(3 years lapsed)
	 Granted
	ETP-under process .

SWHS- installed in Hostel Building , rest of work under process

RWHS- some pits are constructed.

CFL-partially done

Plantation-done 
	1. Monitoring of incinerator conducted by CPCB. As per the result of CPCB Monitoring conducted on 08.12.09, In Sample 1: Particulate Matter is 315.7 and at 12% of CO2 is 3444, is not meeting with the prescribed standards. No2 is 11.8 and at 12% of CO2 is 128.72. HCL is 1.0 and at 12% of CO2 is 10.90. In sample 2:   Particulate Matter is 716.3 and at 12% of CO2 is 7814.18, is not meeting with the prescribed standards. No2 is 9.2 and at 12% of CO2 is 100.36. HCL is 8.6 and at 12% of CO2 are 93.81.

2. As per the decision on 25.11.09, Reminder Letter issued seeking compliance report on pending issues. SCN issued to hospital for the results of CPCB monitoring. Reply received dated 07.01.10, 11.01.10. & 22.01.10 & 23.01.10 regarding measures taken / being taken, alongwith Monitoring report of Incinerator conducted by GGSIPU on 02.01.10, parameters meeting the standards except for VOC.  

3. Inspection of the hospital was carried out by Dr. T. K. Joshi team on 21.05.10. and following were the observations:

(i)Segregation of Bio Medical Waste was not found proper, mixing of bio medical waste observed both in incinerator & Autoclave storage site.

 (ii)In Autoclave section, treated and untreated waste found kept in same room without proper separation wall.

(iii)Sharp boxes are not provided for sharp waste storage. Sharp are kept in glass jar. 

(iv)Incinerator no. 2 of the hospital found in operation during inspection.

(v)Unit no. 1, incinerator was not in operation. Its refractory lining was being changed/ repaired. ID Fan casing was found broken and reported that it will be changed soon

(vi)Leakage of emissions observed from the secondary chamber of incinerator no. . It was observed that leakage was due to a hole/ broken portion of metal sheet in secondary chamber. 

(vii)PLC/ graphic recorder for incinerator is yet to be provided.

(viii)ETP installation is under process.

4. Directions issued u/s 5 of EP Act on 14.06.2010, including directions for not operating the incinerator and for rectification of deficiencies etc.

5. Letter dated 22.6.10 received from the hospital with request  to permit operation of incinerator till BMW treatment &  disposal is outsourced to CBWTF. Another letter issued to hospital on 12.07.10 to comply with the Directions issued u/s 5 of EP  Act and not to operate the incinerator. Representation dated 03.08.10 received  requesting  to continue operations of incinerator till alternative arrangement are finalized. Vide letter dated 05.07.10 status w.r.t 5 points submitted.

6. Hospital was inspected on 27.09.10. and deficiencies were observed.

 (i) Segregation of BMW not found as per rules. Mixing of BMW observed both at incinerator and autoclave site. 

 (ii) Manual segregation of Autoclavable BMW observed before autoclaving.

 (iii) In autoclave section untreated and treated Autoclavable waste found kept without proper separation wall. Untreated needles/sharps found scattered near autoclave.

 (iv) Some blue bags found stored with general waste (black bags)

 (v) Incinerator found operating, however temperature in secondary chamber i.e. 950 C (at 12:30 PM) and 920 C (at 1:05 PM) found below the prescribed standards of 1050+ 50 C. 

PLC not installed for incinerator.

7. As decided in the meeting held on 15.06.10, letter was issued seeking present status w.r.t 5 points etc.

8. Letter dated 10.11.10 was received from AIIMS, informing that they have outsourced and awarded the BMW Management to CBWTF (M/s Biotic Solutions) which will start treating the BMW w.e.f 16.11.10.And w.r.t 5 points and other issues information/status has been referred in the earlier letters of AIIMS.  

9.As decided in file SCN for refusal of Authorization was issued.

10. The hospital was inspected on 18.02.11 and following deficiencies were observed:

    (i) Hospital has not provided any isolated area for storage of BMW , BM Waste         directly disposed off through trolleys  from different wards to         loading/transportation site of CBWTF in the vehicle/truck for disposal.

   (ii) Some blue & yellow bags got checked/opened and mixing of gloves with         incinerable BMW  found. Segregation at source needs improvement.

   (iii) Vehicle/Truck of CBWTF got checked during the visit, yellow &blue bags          found kept mixed, no separate provision for autoclave & incinerable waste.

   (iv) ETP found under construction .

   (v) SWHS partially installed.

   (vi) RWHS pits constructed in some of the areas of the hospital.


	Letter for rectification of the deficiencies observed during the inspection . Also ask for fresh application for authorization.
	1. Letter issued on 21.04.11. 

2. Applied for authorization on 10.05.11

3. Reply dated 09.05.11

received w.r.t.  rectification  of deficiencies & status w.r.t 5 points.   

4.Regarding  ETP  informed that  work was awarded to CPWD and  will be commissioned by 15.10.11 .
	Authorization granted. 

 Letter seeking fresh application for CTO & status w.r.t 

5 points.



	3.
	Safderjung Hospital, Aurobindo Marg New Delhi-29
	S-002
	1531
	Applied for renewal on 

07.01.2010
	Applied on 12.09.08(3 years lapsed) 


	Granted 
	1.ETP-matter under process.

2.RWHS-installed

3.SWHS-matter under process

4.CFL-partially done 

5. Plantation-done.


	1. Inspection of the Hospital & monitoring of the incinerator was conducted on 07.01.09. VOC & Temperature range for Primary Chamber were not meeting the prescribed standards.

2. As per the decision taken on 29.01.09, D.O. Letter issued from MS, DPCC to MS of Hospital with copy to Secy (Health) Govt. of India, for rectification of the deficiencies observed during the inspection and monitoring seeking fresh monitoring report for incinerator, to file compliance report on the five points mentioned in earlier letters.

3. D.O. letter Issued on 14.05.09 to MS of the Hospital, seeking full compliance report & also fresh monitoring report for incinerator.

4. Reply dated 23.03.09, 17.06.09 and 20.07.09 received and informed that for ETP matter has been taken up with the Health Ministry.

5. Addl. M.S of the hospital attended personal hearing on 04.09.09. Letter issued seeking compliance report alongwith   status w.r.t 5 points & other deficiencies communicated to the hospital.

6. Monitoring report for incinerator for monitoring  conducted  by Guru  Gobind  Singh Indraprastha University on 25.06.09 & 25.08.09 shows that  Temperature in Primary Chamber & VOC  were  not meeting the prescribed standards.

7. As decided in the meeting on 25.11.09, Reminder Letter issued seeking compliance report on pending issues.

8. Inspection was carried out on 21.05.10 and BMW management found satisfactory. PLC provided for incinerator. During the inspection incinerator was in cooling phase. Microwave found operational/ in use. Sharp pits provided for disposal of sharps. Records for BMW found maintained. ETP-under consideration, SWHS- under process.

9. Matter was put up in file and as decided letter issued seeking status w.r.t. ETP & SWHS and fresh monitoring report for incinerator.

10. As decided in the meeting held on 15.06.10, reminder letter was issued w.r.t earlier letter.

11. As decided in meeting held on 23.11.10 Final Reminder letter Issued. Reply Received on 03.01.11 and 21.01.11 submitted  Stack Monitoring Report for the Incinerator and also replied regarding 5 points. Vide letter dated 03.03.11, DG , DGHS Govt. of India  requested to close down the incinerator of Safder Jung Hospital since the land occupied by the incinerator is proposed to be used for the approach road for the  Centre for Emergency Trauma .It has been informed that after getting permission  to close down the incinerator, hospital waste management would be outsourced to an agency approved by DPCC.

12. Hospital was inspected  on  09.05.11  & deficiencies were observed were : (i) Segregation of bio-medical waste was not found proper

(ii) Incinerator not found functional due to choking of I.D.fan , smoke was found in the incinerator room. (iii) Microwave found non operational  .


	Request of the DG , DGHS  regarding  closure of the incinerator of Safder Jung Hospital accepted.

Issue letter and inform that Bio Medical Waste must be treated and disposed off through any of the authorized Common Bio Medical Waste Treatment Facilities (CBWTF) in Delhi.
	1. Letter issued on 04.04.11.   

2. Hospital was inspected  on  09.05.11 & deficiencies were observed.

3. Letter for rectification of deficiencies issued to the hospital on 16.05.11. 

4. Reply dated 09.06.11 &  04.08.11received regarding rectification of deficiencies.   


	 Authorization & CTO granted.



	4.
	Lady Hardinge Medical College and Associated Hospitals, Shaheed Bhagat Singh marg, New Delhi-01


	ND-001
	1227
	Granted (valid upto 

13.06.13)
	Applied on 23.11.09
	Granted


	1.SWHS:installed

2.RWHS:installed

3. ETP: under                  process.

4. CFL : Under process 

5. PLANTATION: Done
	 1.Inspection of the Hospital & monitoring of the incinerator was conducted on 19.12.08 and letter issued for deficiencies observed. Particulate Matter, VOC, Temperature range for Primary Chamber were not meeting the prescribed standards. 

2. As per the decision taken on 29.01.09, reminder issued on 24.02.09. Another DO letter issued on 14.05.09 for full compliance report and monitoring report of incinerator.

3. Reply dated 02.07.09 received regarding measures taken/ being taken. 

4. Director of the hospital attended personal hearing on 04.09.09. 

5. As per the decision on 25.11.09, Reminder Letter issued seeking compliance report on pending issues. Reply received dated 21.12.09 regarding measures taken/ being taken. Monitoring report submitted by the unit for the monitoring conducted by National Productivity Council (NPC) on 29.12.09, it is meeting the prescribed standards; however parameters VOC and HCL not mentioned in the report.

6.As decided in the meeting held on 24.02.10 letter issued seeking present status of compliance on 5 points etc and also fresh monitoring report for incinerator for the prescribed parameters including HCL  VOC , and also Temperature in Primary & Secondary Chambers etc. within a month.

Hospital was also asked to submit application for CTE for additional/new construction. 

7. Hospital was Inspected on 14.06.10. and following were the main observations:

(i) Incinerator installed and found operating.

(ii) Incinerator ash disposed through NDMC.

(iii) PLC not provided/installed with the incinerator.

(iv) ETP /STP not been installed as hospital is under renovation.

8. As decided in the meeting held on 15.06.10 reminder letter issued seeking fresh application for CTE for additional/ new construction, status w.r.t. ETP and also for  fresh monitoring report for incinerator. 

9. Letter received from hospital on 11.11.10 w.r.t  5 points  stating that:

     1. Stack monitoring report of the incinerator will be submitted soon (probably in Dec).

     2. Installation of PLC in incinerator shall be completed within 3 months. Graphic and  computer recording devices are installed.

Hospital was inspected on 19.11.10. incinerator not in operation due to oil supply     problem. Representation received.

10. Hospital was inspected on 19.11.10. incinerator not in operation due to oil supply problem. Presently BMW Treatment & disposal through CBWTF.                             Representation received.

11. As decided in 23.11.10 Show Cause Notice issued. Letter received on 03.12.10 regarding disposal of BMW through CBWTF. Reply to SCN received on 17.01.11

Informing that:(i)Bio-Medical Waste disposed off through CBWTF thus incinerator not being operated. (ii)STP work started and will be completed in 2 months and  other ETP’s will be taken up at a later stage

(iii) The storage site for the collection of BMW will be further extended  to ensure its proper storage.

12. Hospital inspected  on 17.06.11 following were the main observations : 

(i) Hospital is having agreement with Synergy Waste Management.

(ii)  Segregation found but needs improvement w.r.t collection in bags as some    bags were torn containing autoclave able waste at autoclave site.   

  
	Authorization granted.

Inspection.
	1.Authorization issued. 

2. Hospital was inspected on 17.06.11. 


	Letter for rectification of deficiencies.

	5.


	Rajan Babu Institute for Pulmonary Medicine & Tuberculosis (RBTB Hospital),  GTB Nagar, Kingsway Camp,Delhi-9 
	NW-001
	1155
	Applied on 02.08.05 (three years lapsed)
	Applied for renewal on 12.10.10   


	Applied on 12.10.10
	1. SWHS: installed

2. RWHS: under process

3. ETP: under process

4. CFL: under process

5. PLANTATION: Plenty of trees in the premises 
	 1.D.O. letter Issued on 14.05.09 to MS of the Hospital, seeking full compliance report. The Hospital was advised to close down Incinerator as quantity of Bio Medical Waste generated from the Hospital is quite less (2-5 Kg /day) and a D.O. Letter was issued to DHA, MCD in this regard.

2. Reply dated 19.05.09 & 06.07.09, received regarding measures taken/ being taken for rectification of deficiencies. It was also informed that incinerator was not in operation. 

3. As per the decision on 01.06.09, reminder letter issued for full compliance. Reply received dated 06.07.09 regarding measures taken/ being taken for rectification of deficiencies observed during the inspection.

4. As per the decision on 04.09.09, letter issued for CTE and expediting the compliance of other things. Point wise reply received dated 07.11.09 regarding measures taken/ being taken.

5. As per the decision on 25.11.09, Reminder Letter issued to comply with remaining things and asked for CTE. Reply received on 07.11.09 regarding measures taken/ being taken.

6. MS of the hospital attended the personal hearing on 15.06.10. It was informed that SWHS installed & there are plenty of trees in the premises. Joint ETP with MVID hospital is proposed to be installed. He has written to Engineering Division (MCD) for carrying out the remaining works i.e. ETP, RWHS & CFL. However, there is little progress in this regard. They will submit fresh application for Authorization and CTE within 15days.DO letter to DHA (MCD) with copy to Commissioner was issued.

7. Application for CTE received on 12.10.10 however fresh application for authorization not received.

8. As per the decisions on 15.09.10 DO letter was issued. Reminder letter was also issued to hospital seeking Application for CTE & fresh application for authorization.. Reply received regarding DO letter. 

9. As decided in meeting held on 09.03.11 hospital was inspected on 10.05.11 and following were the main observations: 

(i) One shredder provided but was not functional. 

(ii)CFLs partially change.

(iii) RWHS, ETP under consideration / process with engineering division. 

(iv). DG Set (2 no.s) of 320 KVA installed in a room without acoustic treatment. 


	Inspection.
	1. Hospital was inspected on 10.05.11.


	Letter for rectification of deficiencies and fresh application for renewal of Authorization.

	6.
	Ram Manohar Lohia Hospital, Baba Kharak Singh Marg New Delhi-1
	ND-002
	1000
	Applied on 02.02.10
	Applied on 20.09.07. (3 years lapsed)
	Granted
	1. SWHS:  under process

2. RWHS: installed

3. ETP: (ETP not installed).Representation received. 

4. CFL: under process

5. PLANTATION: done
	Earlier Authorization expired on 18.02.10. Applied for renewal of Authorization on 02.02.10.
1. Inspection of the Hospital & monitoring of the incinerator was conducted on 19.12.08. VOC & Temperature for Primary & Secondary Chambers were not meeting the prescribed standards. As decided on 29.12.08, letter issued for the deficiencies observed.

2. As per the decision taken on 02.03.2009, Letter issued for installing the ETP within next 3 months and for submission of compliance w.r.t. the letters issued for deficiencies. 

3. As per the decision taken on 27.04.09, D.O. letter Issued on 14.05.09 from MS, DPCC to MS of the Hospital, seeking full compliance report & also fresh monitoring report for incinerator.

4. As per the monitoring conducted on 31.07.2009 by National Productivity Council (NPC) an empanelled laboratory of DPCC, it is meeting the prescribed standards, however parameters VOC and HCL not mentioned in the report. 

5. As per the decision on 25.11.09, Final reminder issued for remaining things. Copy of High Court Order dated 28.10.09 in W. P. (C) No. 6377/2004 was sent, for compliance. Reply received on 02.01.10 regarding measures taken being taken.

6. Letter dated 24.12.09 was issued to the hospital seeking compliance report from the hospital. The hospital has informed regarding the measure taken/ being taken 

7.As decided in the meeting held on 24.2.10 letter issued seeking present status of compliance on 5 points etc and also fresh monitoring report for incinerator for the prescribed parameters including HCL VOC, Temperature in Primary & Secondary Chambers etc. within a month. 

8. As per decisions in the meeting held on 15.06.10 D. O. Letter was issued to DG (Health).Reply not received.

9. Hospital was inspected on 23.09.10 and deficiencies were observed:

 (i) Mixing of general waste with BMW observed in causality and also at final collection point. Rubber gloves were observed in yellow bags.

 (ii) Segregation of BMW needs improvement.

 (iii) ETP not installed. 

  Regarding PLC for incinerator, matter is under process.

10. as decided in the meeting held on 15.09.10, the hospital was called for personal hearing but no representative from the hospital attended the personal hearing.

11. Letter was received on 4.10.10 regarding rectification of deficiencies and other things.


	Representative of the  RML Hospital attended personal hearing on  09.03.11 however was not aware of the issues involved and letters / Show Cause Notice issued by DPCC to the hospital. Send  D.O. letter from Chairman, DPCC to Secretary (Health) Govt. of India  regarding non compliance by Hospital, even upto  the extent that Show Cause  Notice issued by DPCC  was not responded by the hospital. Also mention that DPCC will be constraint to take action against the hospital in case of non compliance
	1.  D.O. letter issued on 13.05.11 .

2. Reply dated 14.06.11received regarding rectification of deficiencies w.r.t SCN . 

3. Letter received on  18.08.11 stating that the incinerator plant  which was not in operation has started  functioning and submitted stack monitoring report from empanelled  lab. Parameters  found meeting the prescribed limits. 


	Reminder letter for ETP & rest of the things .



	7.
	Hindu Rao Hospital Delhi –07.


	N-001
	980
	Granted (valid upto 04.03.13) 
	Applied on 12.05.09
	Granted
	1. SWHS: under process

2. RWHS: not feasible

3. ETP: under process

4. CFL: under process

5. PLANTATION: done
	1. Monitoring report for incinerator conducted by GGSIPU on 12.05.09 was received, parameters within the prescribed standards. 

2. As per the result of CPCB Monitoring conducted on 14.12.09, In Sample 1: Particulate Matter is 610.6 and at 12% of CO2 is 4070.66, were not meeting with the prescribed standards. No2 is 23.2 and at 12% of CO2 is 154.66. HCL is 1.8 and at 12% of CO2 is 12 In sample 2:   Particulate Matter is 1053.7 and at 12% of CO2 is 494.9, is not meeting with the prescribed standards. No2 is 10.5 and at 12% of CO2 is 63. 

3. SCN issued on 13.01.10 w.r.t deficiencies observed during the monitoring of incinerator. Reply received alongwith Monitoring report of incinerator submitted after CPCB monitoring, conducted by GGSIPU on 25.12.09, parameters meeting the standards and informed regarding rectification of other deficiencies.

4. As per the decision on 25.11.09, Final reminder issued for remaining things. SCN issued for the results of CPCB monitoring were not meeting the prescribed standards. Reply dated 10.12.09 & 21.01.10 regarding correction of deficiencies alongwith monitoring report for incinerator conducted by GGSIPU on 23.12.09 indicating that meeting the standards.

5.An inspection was carried out on 05.05.10. During the inspection, following were the observations:

1. Thick black smoke was coming out of incinerator stack.

2. Bio medical waste was being fed into incinerator however, temperature of primary and secondary chamber of incinerator not found within the prescribed range of temperatures. PLC (Programmable Logic Control) system for incinerator is yet to be installed.

3. Recirculation system for Air Pollution Control Device (APCD) for incinerator not in use, staff deputed for incinerator and autoclave is not properly trained for operation & maintenance of incinerator.

4Records keeping for Bio medical waste for incinerator and autoclave through maintenance however, not properly maintained.

5. Acoustic enclosure is not provided with the DG sets of 5 no. (500 KVA-3 nos. & 125 KVA- 2 nos.).

6. Segregation of bio medical waste at source not found proper. Mixing of bio medical waste observed in casualty, surgical wards and orthopedic ward.

7. Effluent Treatment Plant (ETP) not installed.

8. As decided in file, directions issued u/s 5 of EPA including directions for not operating the incinerator.

9. As decided in the meeting held on 15.09.10, letter was issued seeking compliance w.r.t Directions issued u/s 5 of EP Act.

10. Letter was received from the hospital on 23.09.10 stating:

(i) Incinerator operation has been stopped.

(ii) Tender are under process for treatment of BMW through CBWTF.

(iii) Rectification measures are being taken for proper BMW management (iv) Installation w.r.t 5 points are under process.

(v) Tenders for acoustic enclosure are under process.

11. Hospital was inspected on 14.02.11 and following were the main observations.

(i) Incinerator not in operation, incinerable waste sent to MVID for incineration.

(ii) Autoclave was not in operation during inspection as there was some leakage in autoclave; same was under repair as informed it will be functional within few hours as engineer was doing his job during inspection.


	Authorization granted.

Letter seeking status w.r.t 5 points.
	1.Authorization issued on 19.04.11. 

2.Letter issued on 27.04.11. 

3. Reply not received .    


	Reminder .
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	Guru Teg Bahadur Hospital, Shahdara , Delhi-95


	NE-001
	1027
	Applied for renewal on 03.05.10
	Applied on 19.12.07 (3 years lapsed)
	Granted
	1.ETP- matter is under process.

2.Solar Water heating System: Solar panels installed on OPD block & remaining work is under process.

3.Rain Water Harvesting System: Provided on director Bungalow and in rest of the areas it is under process.

4.CFL: done in phased manner.

5.Plantation: under progress
	Earlier Authorization expired on 18.02.10. Applied for renewal of Authorization on 03.05.10. 

1. The hospital attended personal hearing and informed that for the compliance of directions on different issues, mater has been taken up with PWD. Unit was asked to submit the complete information regarding the progress made on different points including deficiencies. Accordingly letter was issued to the hospital. Reply received on 24.07.09, regarding measures taken/ being taken.

2. As per the result of CPCB Monitoring conducted on 21.12.09, parameters were not meeting the prescribed standards. SCN was issued to hospital. Reply received on 06.01.10, 29.01.10. informing that the major repair is required in the incinerator for which PWD has been asked to do so. 

3. Reply received on 16.04.10, it was informed that the major repairs of incinerator plant had been completed and work satisfactorily by PWD. M/s Davis Surgico had also informed that the venturi scrubber (APCD) of incinerator plant at GTB hospital is working satisfactorily. Ash analysis and Flue Gas Analysis was also submitted for monitoring conducted on 27.03.10 & 08.04.10 by GGSIPU. The parameter for Volatile Organic Compound (VOC) in ash (0.03%) was not meeting the prescribed limit of (0.01%).

4. As directed by EPCA, in its meeting held on 19.02.10, inspection was carried by Dr. T. K. Joshi team on 19.05.10. During the inspection, following were the observations:

i. Segregation of Bio Medical Waste was not found proper, mixing of bio medical waste with general waste was observed at the storage site.

ii. Sharp boxes should be provided for proper sharp waste storage.

iii. Records keeping for BMW needs improvement.

iv. Properly trained/ qualified personal are required for operation & maintenance of incinerator.

v. Incinerator of the hospital is not operational since 20.04.10. Incinerable waste is being sent to LNJP hospital/ Lal Bahadur Shastri hospital, Delhi for incineration and disposal. It was informed that Refractory bricks have been changed/ repaired and burners have also been overhauled (cleaning of nozzles etc.) in the incinerator. 

vi. PLC procured and found at the incinerator site, however, yet to be installed.

vii. Regarding 5 points: matter under process.

5.A letter received from PWD regarding the repair work carried out in incinerator plant

6.As decided in the meeting held on 24 .02.10 directions u/s 5 of EPA issued and also letter issued for rectification of deficiencies observed and for not operating the incinerator. Hospital was also asked to submit present status of compliance on 5 points etc within 15 days and also present status w.r.t treatment & disposal of BMW.

7. Reply received dated 20.07.10 regarding rectification of deficiencies:

(i). Training of hospital personnel conducted.

 (ii). Sharp puncture proof containers provided.

(iii). Directions issued regarding proper record keeping.

(iv). Incinerator operated and maintained by qualified manpower.

(v).PLC installed and would be commissioned once permission to operate is given.

(vi).ETP: File sent to Delhi govt for allocation of funds.

(vii). Garbage cleaned.

(viii).SWHS: panels installed, work under progress.

(ix).RWHS: Provided in new 500 bedded block and nursing school rest of area work under consideration.

(x). CFL: being done in phased manner.Plantation: done

8. Decisions taken in the file ratified by the Committee in the meeting held on 15.06.10. Letter was received dated 20.07.10 regarding rectification of deficiencies and also reply was received dated 15.8.10 alongwith status report on 5 points

9. Hospital was inspected on 18.11.10 and following were the observations:

 (i)  Incinerator not operating since 20.4.10 

(II) Autoclave is not operational since 06.10.10, due to some repair work needed. Presently autoclavable BMW is sent to another hospital of Govt. of Delhi(Lal Bahadur Shastri Hospital )for its treatment & disposal.

 (iii) General waste bags found scattered and on road also infront of storage site.       Storage site found filled with bags and it was informed that about 2 truck of general waste is at site. It was also informed that general waste has not been lifted by MCD since 15.11.10. General waste management not found proper.

 (iv)For ETP/STP matter is under process.

(v)Venturi Scrubber is not having pressure measurement system

(vi) Details of PLC is yet to be provided by the hospital.

10. As per the decisions on 15.09.10 letter was issued for rectification of deficiencies observed during inspection.

11. Letter was received on 11.10.10 regarding rectification of deficiencies.


	Reminder.
	 1.Letter issued     on 05.05.11. 

2.Hospital  submitted spore test report for autoclave on 20.05.11.   

3. Reply dated 16.08.11received stating (1) Pressure measurement System for Venturi scrubber in incinerator is installed.  (2) Autoclave & shredder are operational.

However proper reply not received w.r.t deficiencies. 


	Letter seeking  fresh application for CTO & present status w.r.t to 5 points. Regarding request for operation of  incinerator inform the hospital that  incinerator is not  to be operated considering the observations / monitoring in the past . 



	9.
	Rajiv Gandhi Super Speciality Hospital

Near GTB Hospital, Tahirpur, Delhi-93
	E-245
	650 (only OPD functional)
	Granted (valid upto 27.09.13)
	Applied on 28.09.10
	Granted


	1. SWHS: not installed

2. RWHS: installed

3. ETP/ STP: Installed (not operational)

4. CFL: done

5. PLANTATION: more plantation is required.
	1. The unit attended personal hearing. It was informed that Solar Water Heating System, CFLs, and medical gas line will be done by PPP partner. However, STP and Rain Water Harvesting system are already complete. He was asked to submit the details of his statements within 15 days along with details of Plantations carried out on the periphery of the hospital. He was also asked to provide the total covered area in the hospital. 


2.As per the decision on 04.09.09, CTE  was granted and the unit was asked to submit adequacy report for ETP. Unit was inspected on 19.11.09.

3.As per the decision taken on 25.11.09, Letter issued for deficiencies observed .

4.As decided in the meeting held on 24.02.10 a reminder letter was issued .

5. As decided in the meeting held on 15.06.10 letter was issued to hospital for personal hearing.

6. Representative of the hospital attended the personal hearing on 15.09.10. It was informed that tender document is being prepared for handing over the work related to operation & maintenance of the hospital to the selected agency. Only OPD is running on temporary basis. The hospital will apply for Authorization & Consent to Operate within 15 days.

7. Authorization & Letter regarding 5 points status issued. Reply received on 27.12.10 informing that ETP is not made operational as the hospital is not fully functional.


	Letter seeking status w.r.t 5 points. 
	1.Letter issued on 21.04.11.

2.Reply not received.
	Letter seeking status w.r.t 5 points. 

	10.


	G.B.Pant Hospital, J.L. Nehru Marg, New Delhi-2 


	C-002
	601
	Granted (valid upto 13.06.13)
	Applied on 26.09.07. (3 years lapsed)
	Granted

(for existing hospital)

 Applied for CTE on 23.02.11 for additional Block/Building.
	1. SWHS: Matter with PWD

2. RWHS: Matter with PWD

3. ETP: installed

4. CFL: Matter with PWD

5. PLANTATION: done
	1. Based on the complaint received against the kabariwalas operating near the Hospital, an inspection was carried out by PGRC officials and as decided, a Show Cause Notice was given to the hospital on 25.07.08. 

2. Reply received w.r.t SCN stating that BMW is being managed properly and there is no pilferage of the BMW or picking up by the rag pickers. 

3. A letter has been issued on 22.08.08 mentioning the deficiencies observed.

4. Letter dated 10.01.09 received regarding disposal of blood bags.

5. As per the decision taken on 02.03.2009, Letter for Adequacy Report of ETP, and for acoustic enclosure for D.G. Set(s), and for other deficiencies, issued.

6. As per the decision taken on 01.06.09, reminder issued for full Compliance.

7. As per the decision on 04.09.09, Well drafted letter issued mentioning the deficiencies requirements in the case. 

8. As per the decision taken on 25.11.09, Final reminder issued for remaining things and for fresh authorization under BMW Rules. W.R.T the representation received regarding permission to operate the incinerator, hospital was informed regarding CPCB Guidelines for incinerators and permission was not granted for operation of incinerator.

Reply dated 09.11.09 & 02.02.10 were received regarding correction of deficiencies.

9. As decided in the meeting held on 24.02.10 a letter was issued seeking fresh application for authorization, present status of compliance on 5 points etc within 15 days.

10. Hospital was inspected on 12.08.10 and following are the main observations:  

i) Incinerator found non operational .(ii) PLC for incinerator not provided

(iii) Emergency vent not provided for  the incinerator (iv) No. of DG Sets are without acoustic enclosure(v) Stack height not adequate for some of the  DG Sets  

(vi) Some units of ETP found not functioning properly.(vii) CTE  not applied for  the 

construction of additional block(viii) Report for boiler not submitted. 

11. As per the decisions on 15.09.10 letter was issued to the hospital referring earlier letter issued w.r.t incinerator. Also deficiencies were communicated observed w.r.t incinerator etc.

12. As per the decisions on 23.11.10 Letter seeking fresh application for CTO & compliance report w.r.t other issues issued. 

 13. As decided in meeting held on 09.03.11 Hospital was inspected on 16.06.11.  Hospital is having agreement with  Synergy Waste Management Pvt Ltd.            Bio-Medical Waste Management was found satisfactory.


	Reminder for rest of the things.

Inspection.
	1. Hospital has submitted adequacy report   (parameters meeting the prescribed limit) from empanelled lab on 12.03.11.

2. Letter seeking compliance report issued on 16.05.11. 

2. Reply received stating ETP is functional ,  status of DG sets along with flue gas analysis report received.    

3.. Hospital was inspected on 16.06.11.  

Bio-Medical Waste Management was found satisfactory.

4. Hospital has submitted spore validation report of autoclave.


	CTE granted for additional block.

Letter  seeking fresh application for CTO & rest of the things.



	11.


	E.S.I. Hospital, Basai Darapur ,Ring Road, New Delhi-15
	W-001
	600


	Applied on 15.09.10
	Applied on 05.05.11
	Granted


	1. SWHS: under process

2. RWHS: under process

3. ETP: installed

4. CFL: Under process

5. PLANTATION: done
	1. Letter received dated 06.11.09 informing that ETP has been installed and  RWHS, SWHS is under process.

2. Letter issued seeking adequacy report for ETP and progress of SWHS, and RWHS and also for CTE for proposed medical college & renovation.

3.As decided in the meeting held on 24.02.10 a reminder letter was issued.

4. The hospital was inspected on 13.09.10 and following were the main observations.

(I) Segregation needs improvement.

(II) Autoclavable waste given to some private Kabariwala.

(iii) ETP- installed and found functioning.

5. As decided reminder letter was issued.

6. As per the decisions on 15.09.10 letter was issued seeking  application for CTE for proposed medical college & renovation and also for remaining things including deficiencies observed during inspection.

7. As decided in meeting held on 23.11.10 Letter for rectification of deficiencies observed during inspection has been issued. Reply received on 01.03.11 regarding 5 points stating: (i) SWHS and RWHS will be installed after completion of the college and new hospital building. (ii) Adequacy report for ETP is under process.


	Letter seeking application for 

renewal of CTO.


	1.Letter issued on 05.05.11. 

2.Hospital has applied for CTO on 05.05.11 along with effluent analysis report , stack monitoring report & NMR from empanelled lab. NMR not meeting the prescribed limits. 
	Authorization granted. 

Letter for CTE for proposed medical college & renovation .  Ask for corrective measures to control noise for DG Sets and for submission of fresh  NMR & status w.r.t SWHS, RWHS & CFLs.



	12.
	Lala Ram Swaroop Institute of Tuberculosis and Respiratory Diseases,  Sri Aurobindo Marg New Delhi-30
	S-004
	520
	Applied for renewal on 23.03.11. 
	Applied on 18.04.11.
	Granted
	ETP: under process

RWHS: installed

SWHS: under process

CFL- done.

Plantation-done
	Earlier Authorization expired on 07.03.10.

1.As per the decision on 01.06.09, suitable reply has been sent by the BMWM Cell. Reply received on 23.07.09 regarding measures taken/ being taken and submitted fresh monitoring report for incinerator.

2.As per the decision on 25.11.09, Reminder letter for compliance on remaining things. Also sent copy of High Court Order dated 28.10.09 in W. P. (C) No. 6377/2004, for compliance within 15 days. Reply received on 05.01.10. regarding measures taken/ being taken and also informed that  for installation of PLC  the matter is under process.

3.As decided in the meeting held on 24.02.10 letter issued seeking present status of compliance on 5 points etc within 15 days.

4. As per the decision on 15.06.10 letter was issued seeking application for renewal of Authorization and remaining things.

5. As per the decisions on 15.09.10 letter was issued seeking application for renewal of authorization & for status w.r.t 5 points.

6. As per the decision Letter issued. Reply received on 21.12.10 w.r.t 5 points and also informed that PLC is in the process of procurement. 

7. As per the decision hospital was inspected on 06.05.11. Bio-Medical Waste Management was found satisfactory. 


	Final Reminder  seeking application for renewal of Authorization & CTO and status w.r.t  5 points.

Inspection.
	1. Letter issued on 03.06.11. 

2. Hospital has applied for CTO & Authorization . Monitoring report for incinerator, NMR for  DG Sets & ash analysis report (parameters meeting the prescribed limits) from empanelled lab & spore test report submitted. 

3. Hospital was inspected on 06.05.11. Bio-Medical Waste Management was found satisfactory. 

4. Reply received w.r.t status 5 points on 16.06.11 informing that PLC/Graphic recording system for incinerator has been installed & functioning properly.


	Authorization granted. 

Letter seeking status w.r.t 5 points. 
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	Deen Dayal Upadhya Hospital, Hari Nagar, New Delhi-64
	W-002
	500
	Applied on 23.07.08


	Applied on 16.01.08(3 years lapsed)
	Granted
	1.ETP- matter under PWD.

2.SWHS-installed

3.RWHS-installed.

4.CFL-done

5.Plantation-done
	1. As per the decision taken in meeting on 13.06.08 a common letter to Pr. Secy (Health) with copy to Pr.Secy (PWD) from chairman, DPCC was issued.

2.  As per the decision taken on 02.03.09, hospital was inspected and asked to comply with the earlier decisions of the Committee, through a D.O. letter from MS, DPCC to MS of the Hospital.


3. For the compliance on the 5 Points. Letters was issued in this regard.

4. No one from the hospital attended personal hearing on 25.11.09.Show Cause Notice was issued. Reply dated 22.01.10 received.5.As decided in the meeting held on 24.02.10 hospital was inspected on 14.06.10 and deficiencies were observed.

6. Representative of the hospital attended the personal hearing on 15.06.10. DO Letter from MS, DPCC to MS of the hospital mentioning the deficiencies was issued.

7. As per the decision on 15.06.10 DO Letter was issued.

8. As per the decision on 15.09.10 letter was issued seeking compliance w.r.t BMW Rules & status w.r.t ETP.

9. As decided reminder Letter issued. Reply received on 11.02.11 informing sanction for ETP is under progress.
	Ask for CTO & Status of ETP.
	1.Letter issued.

2. Reply / CTO  not  received. 
	Final Reminder, also ask for  fresh application for  Authorization & CTO.



	14.
	Dr. Baba Saheb Ambedkar Hospital Sector-6, Rohini

, New Delhi-85 
	NW-002
	550
	Applied on 19.11.10
	Applied on 19.11.10
	Granted
	1. SWHS: under process.(90% done).

2. RWHS: under process

3. ETP: under process

4. CFL: 90% done.

5. PLANTATION: done
	1. As decided on 27.08.08 notice was issued for corrections of deficiencies noted by inspection team.

2. A news item was published in the Times of India on 06.04.09 regarding the inspection of this Hospital including other four hospitals of Delhi Government by the Health Minister of Govt. of NCT of Delhi and her observations regarding improper management of BMW particularly Sharp Waste Management.

3. Inspection of the hospital was carried out on 18.04.08 & deficiencies w.r.t BMW management were observed.

4. Unit attended personal hearing. The solar water heating system was getting installed. Rain water harvesting system, ETP and Solar Water Heating System was decided to be installed within 2--3 months. CFLs changed within one month. D. O. Letter issued to MS of the Hospitals for rectification of the deficiencies observed during the inspection by the team of Dr. T.K. Joshi by 25.05.2009, with copy to Pr. Secy. (Health), Govt. of Delhi and PS to Minister for Health, Govt. Delhi.

5. The name of the hospital was included in the common D.O.Letter to be issued to Pr. Secy (Health) & Pr.Secy (PWD), GNCT Delhi for the compliance on the 5 Points. 

6.Reminder was issued seeking compliance hospital w.r.t. deficiencies & 5 points. 

7.D. O. Letter was issued followed by reminder.  

8. Letter was issued seeking present status w.r.t compliance on 5 points.

9.As decided in the meeting held on 24.02.10 a reminder letter was issued seeking present status of compliance on 5 points etc within 15 days. Reply received informing Bio hazard symbol painted at the storage site and Shredder & Autoclave for treatment of BMW are being installed.

10. The hospital was inspected on 31.8.10.

      (i)  Autoclave and shredder started working since june 2010.

      (ii) ETP,SWHS,RWHS,CFL matter with PWD.

      (iii) Noise monitoring report of DG Sets required.

11. As per the decisions on 15.09.10 letter was issued for rectification of the deficiencies observed during inspection & also for seeking fresh  application for renewal of authorization & CTO.

12. Reminder Letter issued.  Reply received on 01.02.11 w.r.t 5 points and also informed that acoustic enclosure has been installed for DG Set.
	Letter seeking status of 5 points.
	1.Letter issued 

2. Hospital has directed PWD Zone III seeking status of 5 points & NMR.

3. Status w.r.t 5 points not received. 
	Inspection.



	15.
	Kasturba Hospital, Near Jama Masjid, New Delhi-2
	C-004
	450
	Granted (valid upto 25.08.12)
	Applied on 22.01.10
	Granted


	1. SWHS: Installed 

2. RWHS : Activity started

3. ETP: under process

4. CFL: T-5.28  tube light used

5. PLANTATION: done
	1. Addl. M.S of the hospital attended personal hearing on 04.09.09. The unit was asked to apply afresh for CTO and also submit compliance report alongwith   status w.r.t 5 points & other deficiencies communicated to the hospital.

2. Hospital was Inspected on 20.01.10 & following were observed.

· Isolated storage site/ room should be provided for incinerable waste.

· Syringe cutter, Needle destroyer was not found working at some of the places.

· Bio hazards symbols not provided.

· Records of BMW not found proper, needs improvement

3.As decided in the meeting held on 24.02.10 a letter was issued for rectification of the deficiencies observed during the inspection and  seeking  present status of compliance on 5 points etc  and also  details of existing and new construction, within 15 days. Reply received stating Isolated storage site for incinerable waste identified Syringe cutters & needle destroyers in working order, Bio hazard symbol are  provided, Records are properly maintained,

4. As decided in the meeting held on15.06.10 letter was issued seeking  present status of compliance on 5 points etc & details of existing and new construction, within 15 days.

5. As decided in the meeting held on15.09.10  reminder letter was issued.

6. Hospital was inspected on 15.11.10 and deficiencies were observed.

7. As decided in meeting held on 23.11.10 letter seeking Letter for rectification of deficiencies observed during inspection issued. Reply received on 01.02.11  w.r.t earlier letter  informing that work for ETP will start shortly and other deficiencies have been taken care of.
	Authorization granted.

Letter seeking status w.r.t 5 points.
	1.Authorization issued . 

2.Letter seeking status w.r.t 5 points issued on 05.05.11 . 

3.Reply for rectification of deficiencies & status w.r.t 5 points received 

. 

 
	Letter seeking status w.r.t 5 points.
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	Northern Railway Central Hospital, Basant  Lane

 New  Delhi-55
	C-006
	421
	Applied on 07.01.11.
	Applied on 19.11.07   (3 years lapsed)
	Granted
	1. SWHS: not installed

2. RWHS: installed

3. ETP: not installed

4. CFL: done

5. PLANTATION: done
	1. As decided on 28.11.08 Reminder letter for Solar Water Heating System, Rain Water Harvesting System & ETP and for CTE was issued. 

2. Reply received on 19.02.09 w.r.t letter dated 22.01.09.

3. Unit was called for personal hearing on 27.04.2009 and Letter received from the unit was replied w.r.t compliance report on 5 points communicated to the hospital earlier.

4. Reply dated 29.06.09 received regarding disposal of bio-medical waste to common operators.

5. As decided in the meeting held on 24.02.10 the unit was asked to install ETP & SWHS by June, 2010 & to submit monthly progress report to DPCC in this regard.

6. As per the decision on in the meeting held on15.06.10 D.O. letter was issued to GM (NR).

7.Hospital was inspected on 10.02.11 and following were the main observations:

 (i) Segregation found not as per rule.

 (ii) Biohazard symbol not provided on the container.

 (iii) In the dhalao meant for general waste there were some gloves infectious cotton, glasses (bottles).

(iv) Isolated storage site was found not proper, insufficient space for BMW waste, no partition &container found at site. No Biohazard symbol provided.

(v) ETP/STP not found installed, as informed file is under process for the allotment of project.

(vi) No RWHS pit constructed.

(vii) Record for BMW not shown/not available during inspection.

(viii) SWHS not installed. 

8. Representatives of the Unit attended personal hearing on 23.11.10 & informed that GM has taken up the matter & issued directions to the concerned department for installation of ETP & SWHS in this financial year. Fresh application for Authorization will be submitted soon. Letter for installation of ETP & SWHS by 31.03.11 and to submit fresh  application  for Authorization & CTO within 15 days. 

9. Hospital was inspected on 10.02.11 and deficiencies were observed. 
	Letter for rectification of deficiencies observed, status w.r.t 5 points and also for fresh application for CTO
	1.Letter issued. 

2.Reply not received. 
	Reminder.

	17
	Janak puri Super Specialty Hospital (Govt. of NCT of Delhi), C-2/B, Janakpuri, New Delhi-58. 
	W-391
	300
	Granted (valid        upto 27.07.12)
	Applied on 15.03.10 
	Applied on 15.03.10 
	1. SWHS: not installed

2. RWHS: installed

3. ETP:  installed

4. CFL: done

5.PLANTATION: done
	1. Only OPD services are operational.

2.  Hospital  was Inspected on 11.02.10 and following observed.

· Only OPD is functioning, No beds in the hospital.

· STP installed, condition indicates that STP is not operated regularly.

· Flow meters should be installed.

3.As decided in the meeting held on 24.02.10 a letter was issued for rectification of the deficiencies observed during the inspection and also for STP functioning.

4.The hospital was inspected on 19.08.10 and following were the observations:

  (I) SWHS not installed

  (ii)ETP installed but not functional and conditions revealed that it has not been        operated for long.

  (III) Noise monitoring report for DG Sets not provided.

5. As per the decisions on 15.09.10 Show Cause Notice  for refusal of Authorization was issued for not operating the ETP &  not submitting NMR for DG sets.

6. Letter received on 1.11.10 regarding STP and informed that monitoring report for DG Sets will be submitted shortly.

7. As per the decision Hospital was inspected on 04.03.11.


	Authorization granted.

Letter seeking Noise Monitoring Report for DG Sets, adequacy report for ETP and status of SWHS within a month.
	1.Authorization issued. 

2.Letter issued 02.05.11. 

3.Reply received on 02.06.11 informing that NMR & Adequacy report has not been received from PWD (Elect & Civil). 

It was also informed that the hospital is not functional completely , only OPD services are being provided.   


	Letter seeking adequacy report for ETP.

	18.
	E.S.I Hospital, Jhilmil, Delhi-95


	E-001
	250
	Granted (valid upto 07.03.13)
	Applied on 10.9.10
	Granted 
	1.SWHS- installed.

2.RWHS-installed.

3. ETP- matter under process 

4.Plantation-done.

5. CFL-done
	1.Representative of the hospital attended the personal hearing on 15.06.10.

2. D.O. letter was issued to DG ESI with copy to Medical Commissioner. Reply was received on 2.7.10  requesting for extension of 3 months for submitting report in respect of Air and Noise.

3. Hospital was inspected on 12.11.10 and following were observed.

  (I) ETP/STP not installed as informed designing is under process.

  (II) SWHS installed but not functional which is to be rectified as informed.



	Letter seeking status ETP.
	1.Letter issued. 

2.Reply received dated 26.05.11 informing that ESIC Headquarter has appointed govt. agency for installation of ETP.  It was also informed that staircase has been provided for inspection of boiler.   
	Call the Medical Commissioner of ESI, for personal hearing before the Committee in its next meeting.



	19
	Swami    Dayanand Hospital, Shahdara , Delhi-32
	NE-002
	230


	Granted (valid upto 18.02.13) 
	Applied for renewal on 06.08.10
	Granted
	1.ETP- with engineering department.

2.SWHS-90% completed.

3.RWHS-with engineering department.

4.CFL-done

5.Plantation- is in  process.
	1. Inspection of the Hospital was conducted on 15.01.09 & monitoring of the incinerator was conducted on 16.01.09. Deficiencies observed, Temperature range for Primary Chamber was not meeting the prescribed standards.

2. As decided on 29.01.09, D. O. Letter from MS, DPCC to MS of Hospital, for rectification of the deficiencies & for submission of  fresh monitoring report for incinerator was issued. D.O. Letter also was issued from Chairman, DPCC to Commissioner, MCD.

3. Monitoring report for incinerator for monitoring conducted by Guru Gobind Singh Indraprastha University on 28.03.09 shows parameters meeting the prescribed standards. 

4. Another DO letter issued from MS, DPCC to the Hospital on 14.05.09 for compliance report. Reply dated 14.07.09 received informing that incinerator shall not be operated till restoration of chimney and confirmation report. Also informed about the other measures taken.

5. As decided on 04.09.09, unit was inspected & letter was issued communicating the  deficiencies . Copy of High Court Order dated 28.10.09 in W. P. ( C) No. 6377/2004 was sent, for compliance. Reply/ letters dated 30.12.09, 08.01.10 & 14.01.10 regarding correction of deficiencies were received.

7. As per the decision on in the meeting held on15.06.10 Letter was issued seeking present status of compliance on 5 points etc within 15 days and reply was received  dated 11.8.10 regarding installation of graphic recorder for temperature.

8. Hospital was inspected on 12.11.10 and following were the observations:

  (I) incinerator was not found in operation as it is operated on alternate days.

  (II) Stack provided with incinerator approx. 30 mts from ground level.

9. As per the decision Authorization & Letter seeking status w.r.t 5 points issued. Reply received w.r.t 5 points.
	Letter to DC (Shahdara Zone ) with copy to Commissioner ,MCD, regarding compliance w.r.t 5 points.
	1.Letter issued on 05.05.11. 

2.Reply received. 


	Letter seeking status w.r.t 5 points.

	20.
	M.V.I.D Hospital (MCD),  Kingsway Camp, Delhi-9


	NW-004
	227
	Applied on 04.05.11


	Applied on 6.9.10
	Granted 
	ETP: under process 

SWHS- installed

RWHS-under process

CFL- under progress

Plantation- Done
	1. W.r.t letter dated 22.10.08, vide letter dated 06.11.08, HCU has installed SWHS (one unit at Laboratory).  For rest of the issues the matter was taken up with the concerned Deptt. New Elec. Installation is of CFL.Hospital is having thick foliage cover of greenary all around. New trees was reportedly being planted.

2. Inspection of the hospital & monitoring of the incinerator was conducted on 06.02.09. 

3.  As decided on 02.03.2009, D.O. Letter from MS, DPCC to MS of Hospital for rectification of the deficiencies observed during the inspection and monitoring was issued. D.O. Letter was also issued from Chairman, DPCC to Commissioner, MCD. M S, DPCC also talked to M S of the Hospital to outsource the small quantity of the incinerable BMW instead of burning the waste at the incinerator of this hospital.

4. D.O. letter Issued on 14.05.09 from MS DPCC to MS of the Hospital, seeking full compliance report. The Hospital was advised to close down Incinerator as quantity of Bio Medical Waste generated from the Hospital is quite less (1-2 Kg /day) and a D.O.Letter was also issued to DHA, MCD in this regard.

5. Reply dated 13.04.09, 05.05.09, 18.05.09 and 27.05.09 received regarding measures taken for rectification of deficiencies. Monitoring report for incinerator for monitoring conducted by GGSIPU on 28.03.09 shows parameters meeting the prescribed standards.

6. As decided on 04.09.09, Letter issued for seeking status w.r.t. 5 points & other things. Reply received dated 21.10.09 regarding measures taken/ being taken.

7. As decided on 25.11.09,  Reminder Letter  for compliance on remaining issues. Copy of High Court Order dated 28.10.09 in W. P. ( C) No. 6377/2004, was sent for compliance.

8. As per the decision on in the meeting held on15.06.10 reminder letter was issued seeking fresh application for CTO & present status of compliance on 5 points etc within 15 days and reply was received regarding compliance w.r.t 5 points.

9. Hospital was inspected on 18.11.10 and segregation found satisfactory. Incinerator found operating. Incinerable BMW from Kasturba Hospital, G.L. Maternity Hospital, RBTB and Hindu Rao Hospital is also incinerated at the the incinerator at M.V.I.D Hospital. Temperature in secondary chamber observed during inspection on 18.11.10 were 1145 C(at 3:15 PM), 1157 C(at 3:30 PM) and 1145 C(at 3:40 PM).

10. As decided in meeting held on 23.11.10 Letter for status w.r.t 5 points & observations during inspection about temperature in secondary chamber etc issued. 
	Letter to DC (Civil Lines Zone ) with copy to Commissioner MCD, regarding compliance w.r.t 5 points.

Ask the hospital to submit fresh monitoring report for incinerator.
	 2.Letters issued

2.Application for authorization received. 

3. Hospital has submitted the flue gas analysis report

along with analysis report of ash of incinerator (parameters meeting the prescribed limits) from empanelled lab.

4. No reply from DC. 
	Authorization granted.

Reminder to DC.

	21.
	Chacha Nehru Bal Chikatsalya, Geeta Colony, Delhi-31
	E-179
	216
	Granted (valid upto 02.03.13)

 
	Applied on 01.04.11 
	Granted
	1.ETP- Installed 2.SWHS-installed.

3. RWHS-installed.

4.CFL-done

5.Plantation-done
	Earlier authorization was expired on 07.03.10. Applied for renewal on 02.03.10

1. As decided on 04.09.09, letter issued for adequacy report for ETP. Reply received dated 22.10.09 informing that matter with PWD.

4. As decided on 25.11.09, Letter issued seeking present status w.r.t ETP etc. Reply received on 25.02.10

3. As decided in the meeting held on 24.02.10 a reminder letter was issued for Adequacy Report.

4. As decided in the meeting held on15.06.10, letter was issued seeking status of Adequacy report  for ETP.

5.As decided on 15.09.10 reminder letter was issued seeking status of Adequacy report  for ETP.

6. Reply received informing that adequacy report is still awaited from Jamia Milia despite several reminders by the PWD. Requested for Intervention of DPCC.

7. as per the decision Letter issued

8.Reply received on 31.12.10 from Jamia Milia informing that no data was sent by the hospital to Jamia Milia.
	Send clarification to the hospital. 

Also  seek application for renewal of CTO .
	1.Application of CTO received on 01.04.11 along with effluent analysis report

2. Hospital has submitted Adequacy report on 24.08.11. 
	CTO granted.

	22.
	Satyawadi Raja  Harish Chander hospital, Plot No.30,Sector-7A, Narela, Delhi-40


	NW-278
	200
	Granted (Valid upto 10.06.13) 
	Applied on 30.03.10
	 Granted
	1. SWHS: solar panels procured, yet to be installed.

2. RWHS: under progress.

3. ETP:  matter under process. (No ETP at present)

4. CFL: done

5. Plantation: done
	1. As decided on 02.03.09, A common D.O. letter from Chairman, DPCC to Secretary Health and Secretary, PWD, was sent.

2. As decided on 01.06.09, letter issued to the unit to file interim report.

3.. As decided on 04.09.09, the name of the hospital was included in the common D.O.Letter issued to Pr. Secy ( Health ) &  Pr.Secy ( PWD), GNCT Delhi for the compliance on the 5 Points  . 

4. Representative of the hospital attended personal hearing on 25.11.09, letter  was issued seeking application for CTE & CTO & for  installation of   Solar Water Heating System within one month , ETP & Rain Water Harvesting System  within 3 months.

5. As decided in the meeting held on 24.2.10 a letter issued seeking CTE, CTO & present status of compliance on 5 points etc within 15 days.

6. As per the decision on in the meeting held on15.06.10 Suitable reply was sent w.r.t ETP & status w.r.t other points. 7. Hospital was inspected on 18.11.10 and deficiencies observed w.r.t BMW Management :

 (i) Segregation not found as per Rule.

 (II) Colour coding not found as per Rule.

 (iii) Bio-Hazard Symbol not on the isolated storage area for BMW.

 (iv) isolated storage area for BMW is without doors.

7. As per the decision letter issued. Reply received on 17.01.11 regarding rectification of deficiencies stating:

(i) Segregation is being done as per rule.

(ii) Color coding has been done.

(iii) Bio hazard symbol has been installed on the isolated area of BMW.

(iv) Doors have been installed in the isolated storage area


	Authorization granted.

Letter for status of compliance w.r.t 5 points.
	1.Authorization issued.

2. Letter issued on 02.05.11.

3. No reply received. 
	Letter seeking status w.r.t 5 points.

	23.
	Jag Pravesh Chand Hospital (Shastri Park Hospital),Govt. of NCT of Delhi, Shastri Park,Delhi-53
	NE-104
	200
	Granted (valid upto 15.12.13)

 
	Applied on 24.02.11 


	Granted 
	1. SWHS: installed

2. RWHS: installed.

3. ETP: installed

4. CFL: done

5. PLANTATION: done
	1..As decided in the meeting held on 24.2.10 letter was issued following reminders seeking fresh application for Authorization and also present status of compliance on 5 points etc within 15 days.

2. Hospital was inspected on 10.2.11 and following were the observations.

  (i) Hospital is using yellow bags in labour room, operation theatre & dressing room(for  anatomical waste).

   (ii) Red bags & bins found in use in all other places except above to avoid mixing of BMW. As informed to minimize incinerable waste red bags are in use.

3. As per the decision letter issued for Personal Hearing. Reply received on 22.12.10 regarding compliance report informing that installation of ETP is almost nearing completion. . Hospital was inspected on 10.02.11.
	Representative of the Unit attended personal hearing on 09.03.11 & informed that RWHS, SWHS & ETP has been installed. It was also informed that    piping   work for ETP is yet to be completed by PWD due to which ETP could not be made functional. Issue letter to principal secretary PWD with copy to Chief Engineer PWD for completion of the work related to ETP by April 2011. Authorization & CTE granted.
	1.Authorization  & CTE issued.

2. Letter issued on 29.04.11.

3. Reply received from PWD informing that ETP has been made functional in the hospital.  

4. Adequacy report & test report not submitted. 
	Letter asking for Adequacy and test report for ETP.

	24.
	Jai Prakash Narayan Apex Trauma Centre, Ansari Nagar, Raj Nagar, New Delhi-29


	SW-131
	200
	Applied for renewal on 24.09.09
	Applied on 17.06.11.
	Granted 
	1. SWHS: no information

2. RWHS: constructed 18 pits.

3. ETP: installed

4. CFL: done.

5. PLANTATION: done.
	1. Unit attended personal hearing on 04.09.09. Letter issued to apply afresh for Authorization and also submit compliance report alongwith   status w.r.t 5 points & other deficiencies communicated to the hospital within 15 days.

2. As decided on 25.11.09, final reminder was issued to the unit.

3.As decided in the meeting held on 24.2.10 a reminder letter issued seeking  fresh application for authorization, present status of compliance on 5 points etc within 15 days. Hospital was also asked to submit adequacy report for the ETP Installed.

4. Hospital was inspected on 11.11.10 and following were the observations:

  (I) segregation of BMW was not found as per rule.

  (II) BMW found stored in open in shabby condition. No covered premises for storage for                 BMW. 

  (iii) As informed BMW send to AIIMS for treatment through AIIMS vehicle.

  (iv) STP installed not found in operation since long. Effluent is discharged into drain.

  (v) Some blue bags also found kept in black bags with general waste. 

  (vi) Record for BMW not maintained 

CTO received. 

5. Letter issued.  Reply received on 12.01.11 regarding 5 points and also informing that BMW contract for material for CBWTF given to Biotech Solutions.
	Reminder letter seeking fresh  application for CTO.
	1. Letter issued on 02.05.11.

2. Application of CTO 

received on

 17.06.11.
	Authorization granted.

Inspection 



	25.
	Hedgewar  Arogya Sansthan, Karkardooma, east Arjun Nagar,D-32
	E-158
	200
	Applied on 14.06.10
	Applied on 19.12.07(3 years lapsed)


	Granted
	RWHS- installed

SWHS: installed

ETP: installed.         CFL: done

Plantation: done.


	1.As per the decision on 04.09.09, letter issued for the compliance status w.r.t. 5 points. Included the name of the hospital in the common D.O. Letter issued to Pr. Secy ( Health ) &  Pr.Secy ( PWD), GNCT Delhi for the compliance on the 5 Points. 

2. As pet the decision on 25.11.09, letter issued for present status w.r.t. 5 points.

3.As decided in the meeting held on 24.2.10 a reminder letter was issued seeking present status of compliance on 5 points etc within 15 days.

4. As per the decision in the meeting held 15.06.10, letter seeking present status w.r.t 5 points was issued.

5. Hospital was inspected on 27.01.11 and following were the observations:

 (i) BMW found stored in trolley &kept outside the storage area.

 (ii) Trolley was also not found covered.

 (iii) Isolated storage area provided but proper cover in all sides not proper to avoid rain etc.

 (iv) STP/ETP is in completion stage but yet to commission.

5. Final Reminder Issued. Reply received on 15.02.11, informed that installation of ETP has been completed and will start functioning within 15-20 days.  Hospital was inspected on 27.01.11 and deficiencies with respect to storage of BMW was observed.
	 Letter for rectification of deficiencies and also for seeking fresh application for CTO.
	1. Letter issued.

2. Reply received informing that (i) Bio-Medical Waste is kept inside the storage area  and new trolleys with  cover are being procured which will be available soon. (ii) New storage area has been constructed, which is much bigger and covered from all sides to avoid entry of rain water. 

(iii) Effluent Treatment Plant  is fully functional 

(iv) Application of CTO will be submitted very soon. 
	Authorization granted.

Ask for adequacy report of ETP & fresh application of CTO.

	26
	Bhagwan

 Mahavir Hospital  , H – 4/5, Pitampura, Delhi -34.
	NW-301
	200
	Granted (valid upto 19.04.13)
	Applied on 20.09.07 (3 years lapsed)
	Granted
	ETP- matter is under process.

SWHS- installed

RWHS-  not installed  due to high water table.

CFL-done

Plantation-done.


	1.As decided on 02.03.09, Letter issued for full compliance. Unit attended personal hearing on 04.09.09 & as decided letter issued to submit compliance report alongwith   status w.r.t 5 points & other deficiencies communicated to the hospital within 15 days. The name of the hospital was included in the common D.O.Letter issued to Pr. Secy ( Health ) &  Pr. Secy ( PWD), GNCT Delhi for the compliance on the 5 points.

3. As decided on 25.11.09, hospital was Inspected on 28.01.10. BMW management found satisfactory.

4. .As decided in the meeting held on 24.2.10 a reminder letter was issued seeking  present status of compliance on 5 points etc within 15 days.

5. As per the decision on in the meeting held on15.06.10 reminder letter was  issued.

Reply was received dated 9.8.10 regarding compliance report.

6. As per the decisions on 15.09.10 letter was issued seeking present status w.r.t ETP etc and reply was received on 9.11.10 stating application for CTO will be submitted soon
	Letter seeking fresh application for CTO and for status of installation of ETP. Also seek clarification from the hospital regarding water Table  in the area
	1. Letter issued on 20.05.11.

2.Reply received on 14.09.11 regarding non-submission of CTO due to lack of NMR which was not provided by DPCC authorized lab.    
	Letter seeking fresh application of CTO & status w.r.t 5 points.

	27.
	Institute of Human Behaviour & Allied Sciences, Near GTB Hospital, Dilshad Garden, Delhi-95
	NE-003
	190
	Applied on 15.06.10
	Applied on 25.07.11
	Granted
	ETP: Installed 

CFL-partially completed.

SWHS-Installed.

RWHS- provided.

Plantation- done
	1. As decided on 01.06.09, letter issued to the unit to file adequacy report from empanelled consultant of DPCC. Reply received on 13.07.09.

2. As per the decision on 04.09.09, letter issued to apply afresh for authorization and also to submit adequacy report for ETP.

3. Hospital  was Inspected on 12.02.10 and following were the main observations:

(i).Mixing of BMW with general waste observed at the isolated site.

(ii).ETP not in operation since 4-5 months.

CFL-partially completed.

SWHS-Installed.

RWHS-pit provided.

4. Two DG sets of 625 KVA kept in acoustic enclosures. However, NMR submitted (from Sri Ram Institute) but not meeting the standards.

5.As decided in the meeting held on 24.2.10 a show cause notice was issued

for refusal of Authorization and also to apply afresh for authorization & submit adequacy report for ETP. Reply received regarding compliance report w.r.t. deficiencies.

6. Representatives of the hospital attended the personal hearing on 15.09.10. It was informed that due to theft of some part of ETP, ETP is not operational & will take 2-3 months in making it operational. Show Cause Notice u/s 5 of EPA was issued for rectification of deficiencies & for operation of ETP within a month.

7. Letter was received on 15.12.10 stating various steps taken. Vide another letter dated 26.02.11 it is informed that separate storage room for general waste and BMW are ready in use. NMR for DG Set submitted. Work for ETP functioning awarded and it is in progress and adequacy report will be sent as soon as ETP plant becomes functional. 


	Letter  seeking status of ETP.
	1. Letter issued

2. Hospital has submitted Adequacy Report , NMR & ETP Test Report on 23.08.11 (parameters meeting the prescribed limits) from empanelled lab. 
	Authorization& CTO granted.

	28
	Institute of Liver & Biliary Sciences, D-1, Vasant Kunj, New Delhi-70
	SW-177
	188
	Granted (valid up to 13.09.12)
	Granted  ( valid up to 28.06.12)
	Granted

(for phase I & II )
	ETP- Installed

SWHS- Installed

RWHS-Installed

CFL-done

Plantation-done


	1.. As decided in the meeting held on 24.2.10  Unit attended personal hearing on 24.02.10. Unit was asked to submit CTE for Phase 2 of the project & adequacy report for installed ETP within a month. The unit submitted Adequacy report of ETP  from DTU.

2. As per the decision  in the meeting held on15.06.10 a  letter was issued.

3.Hospital was inspected on 27.09.10 and BMW Management found satisfactory.ETP found in operation. DG Sets(3 nos.-1010 KVA each) having acoustic enclosure. SWHS, RWHS, Plantation provided. Having agreement with CBWTF for treatment and disposal of BMW. 

4. As per the decisions on 15.09.10 reminder letter was issued seeking application for authorization for Ph-I. 

5. Applied for  Consent to Establish on 12.8.10 for Phase II.


	CTE granted for phase II of the hospital.
	1. CTE issued. 
	Letter seeking  item-wise compliance of the Environmental Clearance conditions during the construction and the general conditions on an Affidavit. Unit to also submit  an Affidavit  that it will follow the  conditions of Environmental Clearance  and  mention the date of start of construction and completion of construction, submit approved architectural drawing and  Completion Certificate.  

	29
	Guru Nanak Eye Centre, Maharaja Ranjit Singh Marg , New Delhi
	C-003
	184


	Granted (valid upto 13.01.14) 
	Applied On 09.03.09
	Granted
	1. SWHS: installed

2. RWHS: not possible due to high water level.

3. ETP: not installed

4. CFL: done

5. PLANTATION: done
	1.The unit attended personal hearing on 27.04.09. The unit was advised to set up ETP, CFL, Rain Water Heating System & Solar Water Heating System within a period of two months & Letter was issued in this regard.

2. Reply received on 08.06.09 stating that matter has been taken with PWD.

3. As per the decision on 04.09.09, The name of the hospital was included in the common D.O.Letter issued to Pr. Secy ( Health ) &  Pr.Secy ( PWD), GNCT Delhi for the compliance on the 5 Points. Unit was asked for Environmental Clearance for the upcoming building / project.

4. As decided on 25.11.09, Reminder issued to the unit. Reply received dated 13.01.10 and informed that matter is under process with PWD. EC report has not been received from PWD regarding upcoming building projects so far.

5.As decided on 24.2.10 and 15.06.10 a letter were issued seeking fresh application for authorization, present status of compliance on 5 points etc.

6. Hospital was inspected on 28.01.11 and following were the observations:

 (i)RWHS could not be installed due to high level of ground water.

 (ii) ETP not installed, matter is under submission for financial approval etc., matter is pending with PWD & financial dept.

7. Representatives of the Unit attended personal hearing on 23.11.10 & informed that  piping  etc are being provided for SWHS & amount  of Rs 80 lakh has been sanctioned for ETP.  Letter seeking status w.r.t  5 points (installation of ETP , RWHS, SWHS etc)  and  fresh  application  for Authorization issued. Reply was received on 18.1.11 regarding 5 points.  Hospital was inspected on 28.01.11.
	Authorization granted.

Letter seeking status w.r.t 5 points.

Also seek clarification from the hospital regarding water Table  in the area
	1.Authorization 

Issued. 

2. Letter issued on 20.05.11

3.Reply received on 03.06.11 informing that (i) Sanctioned amount issued to PWD.(ii)RWHS is not advisable since  water table is very high in the campus. (iii) SWHS has been installed by PWD. 
	Letter seeking status w.r.t 5 points.

	30


	Charak 

Palika Hospital,  Moti Bagh ,  New Delhi-21
	ND-003
	150


	Applied on 09.11.09
	Applied on 06.02.09
	Granted
	ETP- Installed

SWHS- Installed

RWHS-Installed

CFL-done

Plantation-done


	1. Director (M.S) of the hospital attended personal hearing on 04.09.09.  Reply dated 20.10.09 regarding measures taken.                                         

2 M.S. of the Hospital  was  directed  to stop the use of  incinerator / close down the incinerator  and  outsource for the treatment and disposal of the Bio-Medical Waste through CBWTF and also Hospital to submit adequacy report of the ETP Installed & status report w.r.t 5 points. The reply received from the hospital stating Incinerator has been closed and BMW outsourced for treatment through CBWTF and also Adequacy report for ETP submitted from GGSIPU.

3. Hospital was inspected on 9.11.10 and following were the observations:

  (i) Colour coded bins with bio hazard symbols not provided.

  (ii) All Bio Medical waste collected from wards were found dumped with general        waste near main collection point & found segregating thereafter.

  (iii) Sharp boxes were not provided for storing sharp.

  (iv)Separate storage site provided for storage of bio medical waste near        incinerator but  they are not in use & having less capacity & no Bio Medical       Waste found stored in it.

  (v) Syringes bottles etc. were found mixed with general waste (no segregation).

  (iv) Record keeping not proper w.r.t Bio Medical Waste.

5. Letter issued for rectification of deficiencies observed during inspection. No reply was  received. 
	Reminder.
	 1. Reminder issued on 16.05.11. 

2. Reply not received. 
	Call for Personal Hearing in next meeting.

	31.
	A& UTibbia College Hospital, Karol Bagh, New Delhi-5
	C-007
	150
	Granted (valid upto 30.05.13)


	Applied on 28.09.06 (three years lapsed)
	Granted


	1. SWHS: under process( nearly completed)

2. RWHS: 80% completed

3. ETP: under process

4. CFL: done

5. PLANTATION: done
	1.Unit attended personal hearing on 04.09.09. The unit was asked to submit compliance report alongwith   status w.r.t 5 points & other deficiencies communicated to the hospital within 15 days. Also the name of the hospital was included in the common D.O.Letter was issued to Pr. Secy ( Health ) &  Pr.Secy ( PWD), GNCT Delhi for the compliance on the 5 points. Reply received dated 28.10.09 regarding measures taken/ being taken.

2. As per the decision on 25.11.09, Letter issued seeking present status of compliance and fresh application for CTO. 

3. As decided in the meeting held on 24.2.10 a reminder letter was issued.

4. As per the decision on in the meeting held on15.06.10 letter seeking fresh application for CTO & Authorization was issued and also present status of compliance w.r.t  5 points. The hospital did not apply afresh for CTO. 

5. As decided in the meeting held on15.09.10 a reminder letter was issued.

6. As per the decision final reminder issued. Reply received on 04.02.11 regarding compliance report and also informed that  CTO application is under process.


	Authorization granted.

Letter seeking status w.r.t 5 points.

Ask the hospital to apply afresh for CTO.


	1.Authorizationissued. 

2. Letter issued on 20.05.11.

3. Reply /Letter received on 19.08.11 regarding status of 5 points.and also sought  status of  CTO earlier applied on 28.09.2006. 


	 Send suitable reply and seek fresh application for CTO & status w.r.t 5 points.

	32.
	Central Jail

 Hospital, Tihar, Delhi
	W-005
	150
	Applied on 24.06.09.
	Not Applied
	Applied on 16.03.11
	1. SWHS: Installed .

2.RWHS:Installed .

3. ETP: Installed. 

4. CFL: partially replaced. 

5. PLANTATION: done
	1. As decided in the meeting on 18.03.08 letter for deficiencies was issued on  25.04.08  including seeking application for Consent to Establish under Air & Water Acts 

2. As decided on 04.09.09, Letter issued  for rectification of the deficiencies observed during the inspection. Reply received dated 27.10.09 regarding measures taken/ being taken.

3. Representatives of the hospital attended personal hearing on 25.11.09 and informed that they deal with the matters related to BMW management & rest of the issues pertain to Jail Administration. Letter issued to DIG Prisons for personal hearing in next meeting.

4. DIG of the Jail attended personal hearing on 24.02.10 and was asked for CTE, CTO & Adequacy report for STP (alongwith details of STP)  and compliance report was also sought on 5 points within 15 days. 

6. As decided in the meeting held  on15.06.10 reminder letter was issued for CTE, CTO etc. EE (BMW) talked to DIG (Prison) & he has assured to do the needful soon.

7. As decided on in the meeting held on15.09.10 a final reminder was issued seeking CTE, CTO etc. and EE BMW  talked  to DIG (Prisons)& it was assured that needful will be done. Reply was received from the hospital dated 11.11.10  w.r.t compliance report.

8. As per the decision Letter issued for personal hearing. .Letter received on 28.02. regarding approval  of effluent analysis report.

9. Hospital was inspected on 16.09.11 , Isolated site for storage of  bio-medical waste  not provided.
	Representatives of the Unit attended personal hearing on 09.03.11 & informed that they will submit application for CTE & CTO within a week. Though they have submitted Effluent analysis report for STP however adequacy report has not been submitted so far. The unit will inform regarding status of SWHS & RWHS and also  submit adequacy report for ETP within a month

.

Inspection.
	1. Applied for CTE on 16.03.11.

2. Hospital has informed that Effluent Analysis has been conducted by Shree Ram Institute For Industrial Research . 

3. Hospital was inspected on 16.09.11 , Isolated site for storage of  BMW not provided. 

4.Adequacy report for STP not submitted.


	Letter for rectification of deficiencies and fresh application of CTO.

	33.
	ESI Hospital, Shree Maa Anandmayi Marg, Okhla phase-1, New Delhi- 20
	S-012
	150
	Granted (valid upto 04.08.13)
	Not applied
	Granted
	ETP-  was Exempted by BMW Com-1. 

SWHS- under process

RWHS- under process

CFL-under process

Plantation-done
	1. Unit attended personal hearing on 27.04.09.SWHS, it was informed that RWHS and CFLs will be installed by 25.05.09. ETP is not required since effluent of the Hospital is going into the CETP, Okhla which is 60-70 yards from the hospital. Letter was issued to the hospital.

2. As per the decision on 04.09.09, Reminder issued for CTO.

3. Inspection of Hospital was carried out on 02.06.10. During the inspection, following were observed:

a. Segregation of BMW was found satisfactory.

b. Bio hazards symbol were provided on the container.

c. Sharp management found satisfactory.

d. Colour coded bags were provided.

e. CFL, RWHS, SWHS.- Under process

4. Representative of the hospital attended the personal hearing on 15.06.10. As decided CTE was granted. Hospital was asked to apply for CTO for existing hospital and also submit present status w.r.t remaining things within 15 days. They were also asked to apply for Environmental Clearance for the new/ proposed construction for hospital.

5. The hospital applied for renewal of authorization on 5.8.10. However not applied for CTO.

6. As decided in the meeting held on15.09.10 a reminder letter was issued for  CTO & remaining things. 

7. As per the decision final reminder issued. No reply received. 
	1. Authorization granted.

2. Call for personal hearing in the next meeting for the rest of the issues.
	1.Authorization issued. 

2.Letter received on 30.05.11 regarding proposed expansion of ESI hospital

3. Letter issued for personal hearing. 
	Representatives of  the Hospital attended personal hearing on  27.09.11 . They were informed regarding the pending issues in respect of their hospital. Hospital will apply for Consent to Establish for the additional  284 beds proposed to be constructed , apply  afresh for Consent to Operate for the existing Hospital and submit present status w.r.t SWHS, RWHS, CFL etc. 



	34.

35.


	Majeedia Hospital, Jamia Hamdard, IHMMR Campus, Hamdard Nagar, New Delhi-110 062
	S-009
	136
	Applied for renewal on 12.03.10
	Applied on 30.05.11
	Granted
	1. ETP-under progress 

2. RWHS- installed

3.SWHS-installed

4. CFL-done.

5. Plantation-done.


	1. As decided on 04.09.09, Letter issued for seeking status w.r.t 5 points. Reply received dated 29.09.09 and informed that SWHS, RWHS and ETP is under process. CFL and Plantation is done.

2.As decided on 25.11.09, Letter issued seeking present status w.r.t 5 Points etc.

3. As decided in the meeting held on 24.2.10 a letter was issued seeking fresh application for authorization, interim report alongwith present status of compliance on 5 points etc.

4. As decided followed by reminder and reply received w.r.t 5 points.

5. Letter seeking fresh application for CTO  issued. 2.Reply received on 05.01.11 stating that it has valid CTO till 10.03.11 however given the reference of CTE


	Send suitable reply to the hospital  and also confirm telephonically.


	1. Letter issued on 03.06.11. 

2.  Hospital has applied for CTE  & CTO 14.03.11 & 30.05.11 resp. by the name HAH Centenary hospital, Jamia Humdard, NC-S


	Letter seeking status of ETP .

Inspection.

	
	Aruna Asaf Ali Hospital, 5 Rajpur Road, Delhi-54
	N-005
	100
	Granted

(valid upto 24.05.13 
	Applied on 25.02.11
	Granted
	ETP-under process.

2. SWHS-installed.

3. RWHS-cannot be installed as rocky soil.

4.CFL-done

5.Plantation-more to be planted
	1.D. O. Letter issued to MS of the Hospitals for rectification of the deficiencies observed during the inspection by the team of Dr. T.K. Joshi by 25.05.2009, with copy to Pr. Secy. (Health), Govt. of Delhi and PS to Minister for Health, Govt. of  Delhi.

3.Replies received on 01.07.09, 17.06.09 regarding measures taken/ being taken alongwith copy of Noise Monitoring report for DG Set(s).

4. As per the decision on 04.09.09, The name of the hospital was included in the common D.O.Letter issued to Pr. Secy (Health) &  Pr.Secy ( PWD), GNCT Delhi for the compliance on the 5 Points. 

5. As per the decision on 25.11..09, Letter issued seeking present status w.r.t  5 points etc.

6. As decided in the meeting held on 24.2.10 a letter was issued seeking fresh application for authorization, present status of compliance on 5 points etc.

7. Unit was inspected on 16.8.10  &  following were the observations.

(i) Biomedical waste management found proper however gauges and infected bandages were found in red bags along with plastic wastes

(ii)ETP: Estimate has been received by PWD and work will start soon.

8. As decided in meeting held on 23.11.10 letter seeking fresh application for CTO issued. Letter received on 11.11.10 stating hospital has already applied for CTE..
	      -----------
	1. Hospital has applied for renewal of CTO along with NMR  from but the stack height of DG Set less.
	Letter for providing adequate stack   for DG Sets and send suitable reply w.r.t RWHS.



	36.


	Sanjay Gandhi Memorial Hospital, Mangolpuri ,Delhi
	NW-012
	276
	Granted (valid upto 21.05.12)
	Applied on 19.03.09
	Granted
	1. SWHS: Installed

2. RWHS: installed.

3. ETP: installed 

4. CFL: Done

5. PLANTATION: done
	1. The unit attended personal.

2.. As decided in the meeting held on 24.2.10  letter issued for Adequacy report for ETP and compliance report w.r.t. 5 points.

3. As decided in the meeting held on15.06.10 reminder letter was issued for Adequacy report for ETP & for present status w.r.t 5 points. 

4. As decided in the meeting held on15.09.10 Final Reminder was issued.

5.Letter received on 29.10.10 w.r.t 5 points and effluent analysis report submitted.

6.. As decided in meeting held on 23.011.10 Letter seeking Adequacy Report for ETP issued. Hospital was inspected on 28.02.11.
	Authorization granted.

Reminder for adequacy report for ETP.


	1.Authorization issued. 

2. Reminder letter issued. 

3. Adequacy report received on 20.05.11. (parameters meeting the prescribed limits) from empanelled lab. 
	CTO granted.

	37.


	Lal Bahadur Shastri Hospital, Khichripur, Delhi.
	E-002
	100


	Applied for renewal on 28.04.10 
	Applied on 28.12.07
	Granted


	1. SWHS: installed

2. RWHS: civil work under process.

3. ETP:  under process

4. CFL: done

5. PLANTATION: done
	1. D.O. Letter issued on 23.03.09 and 14.05.09 to MS of Hospital with copy to Pr. Secy. (Health) GNCT Delhi, for rectification of the deficiencies observed during the inspection and monitoring. Unit was also asked to submit fresh monitoring report for incinerator and to file compliance report, on the five points mentioned in our earlier letters.

2. As decided on 01.06.09, letter issued for full compliance

3. As decided on 04.09.09, CTE granted. The name of the hospital was included in the common D.O.Letter issued to Pr. Secy (Health ) &  Pr.Secy ( PWD), GNCT Delhi for the compliance on the 5 Points . Letter issued to the hospital seeking compliance report including monitoring report w.r.t the earlier letters. Reply received dated 09.11.09 regarding correction of deficiencies and regarding ETP and RWHS, matter taken up with PWD.

4. As decided on 25.11.09, D.O. Letter issued to Pr.Secy (PWD), referring previous D.O. Letter. Copy of High Court Order dated 28.10.09 in W. P. (C) No. 6377/2004,  was sent to M.S. of the hospital ,for compliance. Reply received on 24.12.09 along with NMR of DG set, Flue Gas Analysis report and Ash Analysis Report conducted by GGSIPU on 26.08.09 and Fresh Monitoring report for incinerator submitted conducted by GGSIPU on 11.11.09, parameters meeting the standards. However, VOC (0.02 %) in Ash was not meeting the standards.

5. As decided in the meeting held on 24.2.10 a letter was issued to provide present status of compliance on 5 points etc and also fresh monitoring report for incinerator after taking corrective measures within a month.6. As per the decision on in the meeting held on15.06.10 reminder letter was issued and reply was received on 14.09.10 informing that repairing work of incinerator has been done & PWD has applied for inspection by the approved agency for certification of functioning. Till then yellow bag material will be sent to M/s Synergy Pvt. Ltd. for its disposal. It was also informed that incinerator installed is very old & outdated model & PLC based control system and computer record devices cannot be installed for this incinerator as informed by PWD electrical.                                     

  7. As decided in the meeting held on15.09.10 directions u/s 5 of EP Actwas issued that incinerator shall not be operated till the earlier directions issued w.r.t the incinerator

 are complied and the incinerator shall not be restarted without prior permission from DPCC. The hospital shall also submit compliance status w.r.t other directions issued earlier including directions for installation of  ETP etc.

8. Reply received stating that repair work of incinerator done.

9.As per the decision OF MEETING HELD ON 23.11.10 1.Letter seeking fresh application for CTO & status w.r.t 5 points issued. Reply received on 09.02.11 w.r.t compliance report. Hospital inspected on 07.03.11 and deficiencies were observed w.r.t incinerator etc. 

The hospital has informed regarding closing down of the incinerator and it is also informed that waste is being sent to M/s Synergy Waste Management pvt. Ltd.
	Send letter to the hospital directing not to operate the incinerator and to submit copy of agreement with CBWTF regarding treatment and disposal of the Bio Medical Waste.

Also  seek fresh application for CTO & status w.r.t 5 points.


	 1. Letter issued on 25.05.11. 

3.Not  applied for CTO . Proper  Reply  not received.
	Reminder.

Also inform the hospital to apply for environmental clearance for the upgradation / new construction proposed .

	38.
	Nehru Homeopathic Medical College, Defense Colony, New Delhi-24


	S-013
	100
	Granted (valid upto 16.08.13)
	Applied for renewal on 16.08.10
	Granted
	1. ETP: matter with PWD.

2. SWHS: matter with PWD.

3.RWHS: installed

4.CFL:under progress

5: PLANTATION: done


	1. The representative of the unit attended personal hearing on 29.01.09. The unit was asked to submit reply on all the five points by 02.03.2009. 

2. As decided on 01.06.09, reminder issued for full compliance.

3. As decided on 04.09.09, The name of the hospital was included in the common D.O. Letter issued to Pr. Secy ( Health ) &  Pr.Secy ( PWD), GNCT Delhi for the compliance on the 5 Points  

4. As decided on 25.11.09, Letter issued seeking present status of compliance w.r.t 5 points etc.

5. As decided in the meeting held on 24.2.10 a letter was issued seeking fresh application for authorization & CTO, present status of compliance on 5 points etc within 15 days.

6. Reply received  dated 16.8.10  regarding compliance report stating

1. ETP: matter with PWD.      2. SWHS: matter with PWD.

3.RWHS: installed                 4.CFL:under progress

5: PLANTATION: done

7. As decided in the meeting held on15.09.10 letter was issued seeking present status w.r.t 5 points etc. and letter received on 15.11.10 w.r.t. 5 point status.

8. As decided in the meeting held on 23.11.10 letter seeking time frame to complete the work w.r.t 5 points issued. No reply received. 
	Reminder.
	1. Letter issued on  20.05.11

2. Reply received on.16.06.11  informing that (i) for ETP  special budget from finance department is still awaited. (ii) testing & commissioning  of SWHS is under process. (iii) Project of RWHS is completed. (iv) Replacement of CFLs shall be completed in one month. 
	Final Reminder.

	39.
	Ayurvedic Hospital, MCD, Haiderpur, Delhi-52
	NW-008
	100
	Not applied for renewal. (Last authorization valid upto 13.11.10)
	Granted (valid til 26.10.11)
	Granted 
	1 ETP :was exempted being Ayurvedic Hospital

2..SWHS: installed

3.RWHS-under process

4. CFL. Partially done

5.Plantation-done
	1. Hospital was called for personal having 27.04.09 and as decided letter was issued on 03.07.09 for Rain Water harvesting System and Solar Water Heating System.

2. Reply received on 20.07.09 and informed that the compliance is under process.

3. As decided taken on 01.06.09, letter issued for compliance on Rain Water Harvesting System and Solar Water Heating System.

4. As decided n on 04.09.09, letter issued for status w.r.t 5 points.

5. As decided on 25.11.09, Reminder for remaining points issued.

6. As decided in the meeting held on 24.2.10 a letter was issued seeking  present status of compliance w.r.t remains points., within 15 days and reply received regarding 5 points

7. The hospital was inspected on 31.8.10 and following were the observations.

  (i) no biomedical waste generated as it is a ayurvedic hospital.

  (ii) RWHS under process  (iii) CFL partially done.

8. Letter was received on 15.11.10 informing that they do not require authorization and they do not handle any BMW from any other institutions.

9. As per the decision on 23.11.10 Letter seeking status of  RWHS issued. Reply not received.
	Letter seeking status of RWHS.
	1. Letter issued. 

 2. Reply not  received.
	No Action.

	40..
	Babu Jagjeevan Ram M

memorial Hospital, Jahangirpuri, Delhi-33
	NW-009
	100
	Applied for renewal on 11.11.10
	Applied on 27.09.07(3 years lapsed)
	Granted
	1. ETP-under process.

2.RWHS- not recommended by CGWB

3.SWHS- Installed 

4.CFL-done

5.Plantation-done


	1. Unit attended personal hearing. SWHS, RWHS and conversion to CFLs to be done by 25.02.09. ETP to be installed within three months. Also ask the unit to file permission from DJB for ground water drawl, accordingly letter issued.

2. DO letter issued on 26.05.09 from MS to the hospital for rectification of deficiencies by 25.05.09 with a copy to P. Secy. (Health), GNCTD and PS to Minister for Health.

3. As decided on 04.09.09 the name of the hospital was included in the common D.O. Letter issued to Pr. Secy (Health) & Pr.Secy (PWD), GNCT Delhi for the compliance on the 5 Points.  

4. As decided on 25.11.09, Letter issued seeking present status w.r.t 5 points etc.

5. As decided in the meeting held on 24.2.10 a letter was issued seeking fresh application for authorization, present status of compliance on 5 points etc within 15 days. Reply received regarding 5 points.

6. As decided in the meeting held on15.09.10 letter was issued seeking fresh application for authorization & also status w.r.t 5 points, Reply received. 

7. As decided in the meeting held on 23.11.10 Letter seeking fresh  application for CTO & time frame for completion of the work w.r.t 5 points issued. 


	Reminder.
	1. Letter issued.

2. Hospital has submitted compliance report w.r.t 5 points status.  Hospital has informed that  they will apply for CTO as soon as possible. 


	Inspection.

	41.
	Rao Tula Ram Memorial Hospital, Jafferpur, Delhi
	SW-003
	100


	Applied for renewal on 07.03.10
	Not applied 
	Not applied
	ETP-installed. 

SWHS- installed.

RWHS-installed.

CFL-street light replaced with CFL.

Plantation-done
	1. As decided on 29.01.09, the hospital was asked, not to operate incinerator in view of broken scrubber and the facts that outsourcing of the Incinerable Bio-Medical Waste is being done successfully through Operator of Common Bio-Medical Waste Treatment Facility. Unit was asked to file compliance report, on  the five points mentioned in our earlier letters

2. As decided on 02.03.09, Reminder letter issued seeking compliance report for the deficiencies communicated to the hospital.

3. Another DO letter was issued on 14.05.09 for compliance report. Letter received on 05.08.09 regarding lifting of BMW of RTRM Hospital.

4. As decided on 04.09.09, letter issued for personal hearing and also the name of the hospital was included in the common D.O.Letter issued to Pr. Secy ( Health ) &  Pr.Secy ( PWD), GNCT Delhi for the compliance on the 5 points.

5. Representative of the hospital attended personal hearing on 25.11.09. D.O. letter issued from M.S.DPCC to Pr.Secy (Health) with copy to M.S. of the hospital, mentioning deficiencies and also for not operating the incinerator installed at the hospital.

6. As decided in the meeting held on 24.2.10 MS of the hospital  attended personal hearing on 24.02.10. Unit to submit application for CTE, CTO and compliance status on 5 points. Reply received informing that the incinerator of the hospital has not been functioning as per the instruction of DPCC. Reply received regarding 5 points.

6. As per the decision on in the meeting held on15.06.10 reminder letter was issued for CTE & CTO and also seeking present status w.r.t 5 points. Reply was received on 22.6.10 regarding application.

7. As per the decision on in the meeting held on15.09.10 Show Cause Notice u/s 5 of EPA  was issued since did not apply for CTE &  CTO and not installed ETP etc. Reply received.

8. As per the decision on 23.11.10 Letter seeking application for CTO & CTE and  time frame for completion of the work w.r.t 5 points issued. 


	Inspection.
	1. Hospital was inspected on 02.05.11. following were the main observations: (i) Bio-Medical Waste found mixed in yellow bags. (ii) ETP installed but not found functional since 10 days due to cleaning. 

2. Reply received on 28.02.11 regarding compliance report along with the directions send to PWD (Elect.) regarding NMR, however CTE, CTO & NMR not received. 
	Letter to hospital for rectification of deficiencies and rest of the things.

D.O letter from Chairman, DPCC to Pr. Secy. (Health)

	42.
	Guru Gobind Singh Govt. Hospital, Raghubir Nagar, New Delhi-27
	W-006
	100
	Granted (valid upto 11.6.13)
	Applied on 29.07.11
	Granted


	1. SWHS: installed

2. RWHS: Not recommended due to high water table. 

3. ETP: Installed 

4. CFL: done

5. PLANTATION: done
	1. M.S of the hospital attended personal hearing on 04.09.09. The unit was asked to submit compliance report alongwith   status w.r.t 5 points & other deficiencies The name of the hospital was included in the common D.O. Letter issued to Pr. Secy (Health) & Pr.Secy (PWD), GNCT Delhi for the compliance on the 5 points. Reply received dated 27.10.09 informing that matter with PWD.

2. As decided on 25.11.09, Letter issued seeking present status w.r.t 5 points etc.

3.A letter was issued seeking present status w.r.t ETP & RWHS. Reply received dated 13.08.10 regarding RWHS not recommended due to high water table and also informed that amount sanctioned and awarded work order for ETP.

4. As decided in meeting held on 23.11.10 letter seeking fresh application for CTO & status w.r.t 5 points issued. 
	Reminder.
	1.Letter  issued.

2. Hospital has applied for CTO  on 29.07.11 along with photographs of STP and NMR. 
	Letter for  adequacy report for ETP.

	43.
	ESI Hospital, Sector-15. Rohini, Delhi-85
	NW-010
	300
	Applied on 01.03.11
	Applied on 18.07.08

(3 years lapsed)    
	Granted
	1. SWHS: proposals received are under process.

2. RWHS: Estimates are under process.

3. ETP: Estimate received. Time was asked upto 31.03.10.

4. CFL: done.

5. PLANTATION: done
	1. The unit came for personal hearing on 01.06.09. It was observed that the person was from the ESI hospital and he is taking up the matter with headquarters & nothing concrete was found. A letter was sent to unit to depute a responsible person from headquarter for giving proper commitments regarding the progress of work. . Letter was issued.

3. M.S of the hospital attended personal hearing on 04.09.09. D.O letter issued from M.S DPCC to DG, ESI highlighting the issues & for compliance w.r.t 5 points. 

4. As decided on 04.09.09, Reminder issued from MS.DPCC to DG ESI.

5 As decided in the meeting held on 24.2.10 a D.O Letter was issued from Chairman, DPCC to DG., ESI.

6. As per the decision on in the meeting held on15.06.10 Reminder letter was D.O. to DG ESI with copy to Medical Commissioner and reply was not received.

7. As per the decision on in the meeting held on15.09.10 letter was issued seeking fresh application for authorization & present status w.r.t 5 points.

8. As per the decision in the meeting held on 23.11.10 reminder letter issued. Reply received on 16.12.10  w.r.t compliance.


	Call the Medical Commissioner, ESI, for personal hearing before the Committee in its next meeting.
	 1. Letter issued for personal hearing . 

2. Hospital has submitted letter regarding outsourcing of BMW. 

3. Another letter received regarding Mercury .
	Representatives of  the Hospital attended personal hearing on  27.09.11 however Medical Commissioner of ESI  could not attend the hearing. Representatives  informed  that the concerning issues were  pending  with  Head Office for necessary action.

Call the Medical Commissioner of ESI, for personal hearing before the Committee in its next meeting.



	44
	Maharishi Balmiki Hospital, Pooth khurd , New Delhi-39
	NW-011
	100
	Granted (valid upto 29.01.13)
	Applied for renewal on 20.09.10
	Granted
	SWHS- installed

RWHS -not required since water table is high (5.20 mtr.)

CFL: no ordinary bulbs in the hospital.

ETP - installed 


	1. The hospital was asked to file adequacy report for ETP, for Rain Water Harvesting System, and hospital to contact CGWA.

3. As decided on 01.06.09, hospital was asked to file adequacy report of ETP and permission from DJB for ground water extraction as per new orders. Unit to submit CGWA opinion on Rain Water Harvesting System and ground water drawl.  

4. letter was issued with clarification for adequacy report. Reply received dated 28.10.09 regarding measures taken/ being taken. Water analysis report submitted.

5. As decided on 25.11.09, Letter issued seeking present status including adequacy report for ETP.

6. As decided in the meeting held on 24.02.10 a letter was issued seeking present status of compliance on 5 points etc .,  Adequacy Report of ETP & status w.r.t RWHS, within 15 days.

8. As decided  in the meeting held on15.09.10 letter was issued seeking application for renewal of authorization, CTO & present status w.r.t 5 points and hospital was informed to submit letter from CGWA regarding non requirement of RWHS.

9. As per the decision in meeting held on 23.11.10 final reminder issued. Reply received on 10.01.11 stating:

(i) STP with Clarifiers is installed & modifications for conversion of ETP are under process.

(ii)  Water table high (3.9 metres) so no need for RWHS. If mandatory then it is requested by the hospital for fresh requisition to be initiated.

1. As per the decision Hospital was inspected on 31.05.11 main observation are: (i) Segregation  at emergency was not properly maintained. (ii) yellow bags were mixed with red bags at isolated site.  (iii) STP was not operational during inspection and it was not working since 4 days as informed by operator.  
	Authorization granted.

Inspection.
	1.Authorization issued. 

2. Hospital was inspected on 31.05.11 and deficiencies were observed. 

2. Hospital has submitted effluent analysis report (parameters meeting the prescribed limits) from empanelled lab. on 06.04.11. 

Directions to PWD  issued regarding STP , received on 


	Letter for rectification of deficiencies &

Adequacy report for STP.

	45.
	G.L. Maternity Hospital (MCD) , Ajmeri gate, Kamla Market, Delhi-6


	N-006
	107
	Granted (valid upto 30.5.13)
	17.06.08

(3 years lapsed).
	Granted
	1.ETP- not feasible as adequate site not available.

2. SWHS- under advanced stage of installation and will start soon.

3. RWHS- incorporated under the annual plan

4. CFL- done.

5. Plantation: done


	1. As decided on 01.06.09, letter issued to confirm the status about the ETP. Letter received on 10.07.09 requesting for exemption for ETP.

2. As decided on 25.11.09, Letter issued for deficiencies observed. Hospital was asked to install ETP since having more than 100 beds and to apply for CTE for extra beds & Environmental Clearance  ,if area of the proposed  expansion + existing area is more than 20000 Sq. Meter. 

3.Reply dated 16.01.10 regarding correction of deficiencies. Also informed that, the hospital has not created any extra 10 beds of NICU but the existing beds have been redistributed for is total availability i.e. 97 beds. Area is less than 20,000 sq. meter. 

4. As decided in the meeting held on 24.2.10 a letter was issued for rectification of deficiencies & decision of DPCC Board meeting on 09.12.09 was mentioned regarding requirement of ETP. Compliance w.r.t 5 points was sought. Reply received regarding 5 points.

5. As decided in the meeting held on15.06.10 letter was issued for present status & compliance w.r.t. 5 points followed by reminder.

6. As decided in meeting held on 23.11.10 final reminder issued. Reply received on 29.12.10 stating (i)ETP and RWHS not feasible as adequate site not available  but would be considered during expansion of the hospital.

(ii) SWHS is in the advanced stage of installation and will start soon.


	Call for personal hearing in the next meeting.
	1. Letter issued for personal hearing. 
	Representatives of  the  Hospital attended personal hearing on  27.09.11 and informed  the present status. Hospital will  

Apply afresh for Consent to Operate and also apply for Environmental Clearance for the proposed  upgradation /new construction and submit present staus w.r.t 5 Points.  



	46
	Moti  Nagar Hospital 

(Acharya Bhikshu Hospital), Govt. of Delhi, Moti Nagar, Delhi-15
	W-015
	81
	Applied on 29.12.10
	Applied on 02.06.09.
	Granted
	1. ETP-under process.

2. SWHS-installed.

3. RWHS-installed.

4. CFL-done

5.Plantation-done
	1. M.S of the hospital attended personal hearing on 04.09.09.  It was informed that the Bio medical waste is disposed through Synergy Waste management.

2. As per the decision on 25.11.09, Letter for compliance on 5 points issued.

3. As decided in the meeting held on 24.2.10 a letter was issued seeking  present status of compliance on 5 points etc within 15 days

4. Reply dated 10.08.10 received w.r.t 5 points 

(1). ETP-under process with PWD.

(2). SWHS-will be installed by Sept, 2010.

(3). RWHS-installed.

(4). CFL-will be completed by Sept,10.

(5). Plantation-Letter sent to Horticulture Deptt

5.  As decided in the meeting held on15.06.10 letter was issued to apply for renewal of authorization. Reply dated 10.08.10 received w.r.t 5 points

6. As decided in the meeting held on15.09.10 letter was issued seeking present status w.r.t 5 points.

7. As per the decision of meeting held on 23.11.10 Reminder letter issued. Reply not received. 


	Inspection.
	1. Hospital was inspected on 02.06.11 and BMW Management found satisfactory.


	Authorization granted.

Letter seeking status w.r.t ETP.

	47
	Shri Dada Dev Matri Avum Shisu Chikitsalya,Dabri, New Delhi-45
	SW-171
	64


	Granted Valid upto (11.03.12)
	Applied on 04.11.10
	Granted
	1.ETP-proposal submitted to PWD.

2. SWHS-under process.

3.RWHS-installed

4.CFL-done

5.Plantation-done.
	1. As decided in the meeting held on 24.2.10  asked for status of compliance w.r.t. 5 points.Reply received regarding 5 points.

2.   As decided in the meeting held on15.06.10 reminder letter was issued seeking present status w.r.t 5 points.

3. As decided in the meeting held on15.09.10 final reminder was issued for  present status w.r.t 5 points.

4. Hospital was inspected on 28.02.11 and it was informed  that matter regarding ETP is under process.


	 1. Authorization granted.

2. Letter seeking status w.r.t 5 points.


	1. Authorization issued. 

2. Letter issued on  20.05.11

3. Reply not received. 
	Reminder.

	48.
	Vallabhai Patel  Chest Institute, University of Delhi, PO-Box.No-2101, Delhi-7
	N-007
	60
	Granted (valid upto 26.05.13
	Applied for renewal on 07.10.10
	Granted
	1.ETP-Installed 2.SWHS- Installed

3.RWHS-not feasible due to high water table.

4.CFL-done

5.Plantation-Done.
	1. As decided on 02.03.2009, A letter was sent to clarify about the position of ETP. CGWA should be approached regarding rain water harvesting system 

2. Unit attended personal hearing on 04.09.09. 

3. As decided on 04.09.09, Reminder issued for present status.

4. As decided in the meeting held on 24.2.10 a letter was issued seeking fresh application for authorization, present status of compliance on 5 points etc within 15 days and also suitable reply for RWHS.

5. As decided in the meeting held on15.06.10 letter was issued seeking adequacy report for ETP installed. Reply received dated 27.8.10 requesting to provide list of empanelled consultants of DPCC. Reply  dated  9.9.10 received  requesting to grant 15 days time to submit the consent form  along with required documents.
	Reminder.
	 1. Letter seeking adequacy report for ETP issued on  20.05.11. 

2. Reply not received. 

.
	Final Reminder.

	49


	MCD Chest Clinic and Hospital, Nehru Nagar, New Delhi- 65


	S-236
	55
	Applied for renewal on 21.07.10.
	Applied on 18.09.09
	Granted
	1. ETP: matter with engineering division of MCD. Ward is closed at present and will be installed when reconstructed.

2. RWHS: matter with engineering division of MCD.

3. SWHS: No requirements of hot water as the wards are under construction.

CFL: no ordinary bulbs in hospital.

Plantation-done.
	1. As decided on 25.11.09, CTE granted. Reminder issued for remaining points. Another letter issued for installation of ETP as decided by DPCC in its board meeting held on 09.12.10.

2. As decided in the meeting held on 24.2.10 a final reminder was issued for remaining points. Reply received regarding 5 points.

3. As decided on in the meeting held on15.06.10 letter was issued seeking application for renewal of authorization & present status w.r.t 5 points.

4. As decided on in the meeting held on15.09.10 letter was issued seeking present status w.r.t 5 points.

5. As per the decision on meeting held on 23.11.10 .Reminder letter issued. Reply received on 11.01.11 regarding 5 points.


	Letter to  concerned  DC of MCD with copy to Commissioner ,MCD, regarding compliance w.r.t 5 points.


	 1. Letter issued 05.05.11.  

2. Reply  not received from DC. 


	Inspection.

	50
	Dr. Shyama Prasad Mukherjee Chest Hospital, Patpar ganj, Delhi-91
	E-004
	52
	Applied for renewal on 15.07.10
	Granted  (Valid upto 03.12.11)
	Granted 
	SWHS- do not need as there is no operation theatre/labour room/ emergency services.

RWHS-under process.

ETP-under process( matter taken up with eng. Division)

CFL-under progress

PLANTATION- written to Director Horticulture.


	Earlier authorization was expired on 07.03.10.Applied for renewal of authorization on 15.07.10 

1.As decided on 01.06.09, hospital was asked to correct the deficiencies observed during the inspection. Compliance report received on 09.07.09 regarding measures taken for rectification of deficiencies observed during the inspection.

2.As per the decision on 25.11.09, CTE & CTO Granted. Letter issued for installation of ETP as decided by DPCC in its board meeting held on 09.12.09.

3. Letter issued for fresh application for authorization and for installation of ETP, SWHS ,RWHS, CFL &  , Plantation in the hospital.

4. . As decided in the meeting held on 24.2.10 a letter was issued for fresh application for authorization and for installation of ETP, SWHS ,RWHS, CFL &  , Plantation in the hospital.

5. As decided in the meeting held on15.06.10 Reminder Letter was  issued.

6. As decided in the meeting held on15.09.10 letter was issued seeking  status of installation of ETP, SWHS, RWHS, CFL &, Plantation in the hospital. Reply was received dated 21.10.10 and 15.11.10 giving present status w.r.t 5 points.

7. Hospital was inspected on 25.02.11 and following were the main observations:

 (i) Segregation of BMW not found proper. 

 (ii)No isolated area/site provided for BMW.

 (iii) Bio-hazard symbol not provided.

 (iv) ETP/STP not installed however they have informed that matter is under process.

 (v) No RWHS pits constructed matter is under process.

 (vi) CFL installation under progress.

 (vii) Plantation not done. 

8. Letter received from the hospital on 03.01.11 regarding ETP stating that they have contacted EE (Project) for the same and requested DPCC to direct the hospital where and whom to contact. Letter received on 11.01.11 stating that hospital has allocated funds for replacement of ordinary bulbs and requested DPCC to guide for safe disposal of mercury containing lamps.
	Letter for rectification of the deficiencies observed during the inspection.

Letter to concerned DC of MCD  with copy to Commissioner ,MCD, regarding compliance w.r.t 5 points.


	 1. Letters issued.

2. Hospital has submitted fresh Affidavit for renewal of authorization. 

3. Hospital has informed that no. of patients admitted were always less than 40. 

4. Reply received on 26.05.11 regarding compliance report along with directions send to PWD. 
	ETP exempted

Reminder to DC.

	51.
	Dr. B.R. Sur Hemopathic College & Hospital, Nanakpura, Moti Bagh, New Delhi-22


	SW-038
	50
	Granted (valid upto 30.01.13)
	Applied for renewal on 10.09.10
	Granted


	1. SWHS-not feasible in old block & in process of construction in new block.

2.RWHS installed

3. ETP - not feasible due to constraint of space and less amount of sewage water.

4. CFL-done

5.Plantation-done
	1. As decided  on 01.06.09, letter issued  to the unit to file status of compliance for CFL, Rain Water Harvesting System, and Solar Water Heating System along with waste water analysis report. Reply received on 14.07.09 stating that matter with PWD.

2. As decided on 04.09.09, Reminder issued for 5 points. Reply received dated 26.10.09 regarding measures taken/ being taken.

3. As decided on 25.11.09, Letter issued seeking present status on 5 points.

Reply dated 05.02.10 received along with wastewater test report from NPL.

4 As decided in the meeting held on 24.2.10 a reminder letter was issued seeking present status of compliance on 5 points etc within 15 days. Reply received regarding 5 points.

5. The hospital was inspected on 16.8.10 and following were the observations:

    (I) SWHS not possible due to slopy asbestos sheet but may be considered for new building.

 (II) RWHS pit provided and work under process.

 (III) ETP not feasible due to constraint of space and less amount of sewage water.

6. As decided  in the meeting held on15.09.10 letter was issued seeking occupancy status (w.r.t number of beds occupied) of the hospital. Reply dated 16.11.10  was received on 22.11.10.

7. As per the decision on 23.11.10 hospital exempted from installation of ETP considering the observation during the earlier inspection. on 16.08.10 (ETP not feasible due to constraint of space and less amount of sewage water) and reply dated 16.11.10 received from the hospital giving  occupancy status which is quite less. 
	 Letter  seeking status w.r.t 5 points.


	1. Letter issued on 20.05.11. 

2. Reply received on 02.06.11. stating hospital has its roof of asbestos sheets with having slopping CGI sheets. Hence, SWHS is not sustainable. (ii) RWHS installed. (iii) CFL done. (iv) Plantation done. 
	ETP exempted 

CTO granted.

	52.
	Sardar Valabh Bhai Patel Hospital, East Patel Nagar, New Delhi-8
	W-206
	50
	Granted (valid upto 06.06.12)
	Applied on 23.09.11


	Granted


	1.SWHS- installed

 2.RWHS -- installed

3. CFL- done

4.Plantation- done 

5. ETP—no space available.
	1. As decided on 01.06.09, letter issued for correction of deficiencies observed during the inspection. Noise monitoring report for DG Set submitted from Delhi Power Services & Co. and Reply received on 06.07.09 regarding measures taken/ being taken for rectification of deficiencies.

2. As per the decision on 04.09.09, Well drafted reminder letter issued.

3. Another letter issued for installation of ETP as decided by DPCC in its board meeting held on 09.12.09.

4. As decided on 24.2.10 Unit attended personal hearing on 24.02.10 and was also asked  for installation of ETP, compliance status w.r.t. SWHS (with capacity), RWHS, CFL & Plantation. Unit to submit NMR for DG set within a month. A copy of letter received addressed to PWD for installation of ETP.

5. Reply received dated 17.08.10 w.r.t 5 points

6. As decided in the meeting held on15.06.10,  Letter was issued seeking present status/ compliance w.r.t. 5 points. Reply received dated 17.8.10 regarding compliance report.

7. As decided in the meeting held on15.09.10 letter was issued seeking present status w.r.t 5 points. Reply was received on 15.11.10 stating reply already been sent.

8. As decided in meeting held on 23.11.10 Letter issued. Reply received on 21.01.11 regarding installation of ETP stating that hospital has sent letter to one of the empanelled consultants and reply from the same is awaited.
	Letter seeking fresh application for CTO .Also seek adequacy report for ETP.
	1. Letter issued on 25.05.11. 

2.Reply received on 11.06.11 & 20.09.11 w.r.t installation of ETP stating that they have approached GGSIPU in this regard but they did not respond till date. 
	Send  fresh list of empanelled consultant to the hospital. 

	53.
	Northern Railway Divisional Hospital, S.P. Mukherjee Marg, Delhi-6
	C-010
	50
	Granted (valid upto 28.04.13)
	Applied on 13.12.10
	Granted. 

 
	-------
	1. A letter was issued for installation of ETP as decided by DPCC in its board meeting held on 09.12.09.

2. . As decided in the meeting held on 24.2.10 a letter was issued for fresh application for authorization and for installation of ETP, SWHS ,RWHS, CFL &  , Plantation in the hospital. 

3.As decided in the meeting held on15.06.10 reminder letter was issued for present status/ compliance w.r.t 5 points. Reply not received from the hospital.

4. As decided in the meeting held on15.09.10 final reminder was issued seeking present status w.r.t 5 points.
	Representatives of the Unit attended personal hearing on 09.03.11 & informed that matter regarding SWHS, RWHS & ETP etc is being dealt by engineering division and also informed that old building of the hospital is to be demolished. Send letter to DRM.    


	1. Letter issued on 25.05.11.

2. Reply not received. 


	Reminder

	54..


	Palika Maternity Hospital, Lodhi Colony , New Delhi-3
	S-018
	50
	Applied for renewal on 16.08.10


	 Applied on 07.03.11
	Granted


	1. ETP- Matter initiated

2. SWHS-installed.

3.RWHS-matter under process

4. CFL-done.

5. Plantation-done.


	Earlier authorization was expired on 30.01.10.

1.Letter was received informing that incinerator was not operational these days and presently the BMW disposal through operator of CBWTF.

2. M.S of the hospital attended personal hearing on 04.09.09.It was informed that incinerator is not being operated, for D.G set acoustic provided. Noise Monitoring Report to be submitted. The unit was asked to apply for CTO & submit compliance report w.r.t deficiencies communicated to the hospital, within 15 days.  Unit was directed to close down incinerator & outsource for disposal of BMW. Letter was issued.

3. As decided on 25.11.09, Reminder issued seeking compliance report within 15 days. Another letter issued for installation of ETP as decided by DPCC in its board meeting held on 09.12.09.

4 . As decided in the meeting M.S. / Representative of the hospital presented their case before the Committee when visited the office on 24.02.10. It was decided that the hospital will apply afresh for authorization & CTO and  also install ETP as decided by DPCC. Hospital to install SWHS ,RWHS, CFL & Plantation in the hospital and submit Noise Monitoring report for DG Set. Reply received regarding 5 points.

5. As decided in the meeting held on15.06.10 Reminder Letter  was issued seeking compliance report w.r.t. ETP Etc, to apply for renewal of authorization & for CTO and to submit Noise Monitoring Report for DG Set.

6. As decided in the meeting held on15.09.10 final reminder was issued seeking compliance report w.r.t. ETP Etc, for CTO and for Noise Monitoring Report for DG Set.
	Representatives of the Unit attended personal hearing on 09.03.11 & inform that DG set is not in use/not working and diesel quota is not being procured and engineering department was requested to take it back. Send DO letter to chairman NDMC regarding installation of ETP, RWHS. The hospital will submit an affidavit regarding non working/ non use of the installed DG set within 15 days.  
	1. Letters issued. 

2. Reply regarding D.G Set received on 13.05.11 stating that DG Set is not functioning properly.  Affidavit not received.

3.Letter received on 02.06.11 asking to issue fresh consent order & authorization.

4. letter received on 24.05.11 directing CE(Civil & E) regarding installation of ETP , RWHS & CFLs and submission of NMR.  

5. Letter received from NDMC stating that DG Set installed in the said hospital  is in perfect working condition as it is tested everyday by NDMC maintenance staff.  


	Authorization granted.

Inspection.

	55
	International Centre for Genetic Engineering & Bio Tech, ICGEB  Campus, P.O. Box  10504, Aruna Asaf Ali Marg, Delhi -67.
	SW-054
	Nil
	Granted (valid upto 20.03.11)
	Applied on 11.07.08

(3 years lapsed )
	Granted

 
	ETP/ STP-installed.

Rest of things not asked for.
	1. Monitoring report for incinerator conducted by GGSIPU on 03.07.09 received, VOC in ash (0.02 %) was not meeting the prescribed standards. 

2. Unit attended personal hearing on 04.09.09. The unit was asked to submit compliance report w.r.t deficiencies communicated to the hospital along with Adequacy Report for STP, within 15 days.  Reply received dated 22.10.09 and 17.11.09 regarding measures taken/ being taken. Also test certificate of Effluent discharge and Stack gas emission of incinerator submitted conducted from Shri Ram Institute.

3. As per the decision on 25.11.09, well drafted letter issued for deficiencies. Also Copy of High Court Order dated 28.10.09 in W. P. (C) No. 6377/2004, was sent for compliance.

4. Vide reply dated 04.02.10 informed that Incinerator has been stopped and availing the services of CBWTF w.e.f.14.01.10

5. As decided in the meeting held on 24.2.10 a letter was issued seeking Adequacy Report for STP & copy of agreement with CBWTF. Reply received Informing that they are in process to obtain Adequacy report.

6. As decided in the meeting held on15.06.10 letter seeking adequacy report for STP was issued.

7. As decided in the meeting held on15.09.10 reminder letter was issued seeking Adequacy Report for STP. Reply dated 18.11.10 was received on 22.11.10 informed regarding hiring the services of empanelled consultant of DPCC for Adequacy Report.

8. As decided in meeting held on 23.11.10 1.Final reminder letter issued .Reply received on 27.01.11 stating that institute is in the process of revamping STP through consultants and reply is awaited.
	Reminder seeking time frame for the STP and submission of the adequacy report
	1. Letter issued on 25.05.11. 

2.Institute has submitted effluent analysis report (parameters meeting the prescribed limits  ) from empanelled lab. on 08.07.11.

3. Reply received on 08.07.11 stating that they had approached the empanelled consultants  regarding STP/ETP but did not receive any response from them. However,they have asked for new list for empanelled consultants from DPCC.

 
	Send  fresh list of empanelled consultant to the hospital.

	56.
	National Institute of Immunology,Aruna Asaf Ali Marg, New Delhi-67
	S-149
	Nil
	Granted( valid upto 30.04.13) 
	Applied on 13.02.09
	Granted


	ETP- matter under process(  with consultant) 
	1. Reminder letter issued for full compliance. Reply received regarding outsourcing of BMW to CBWTF.

2. As decided on 04.09.09, Reminder letter issued to apply afresh for authorization under BMW Rules and also seek compliance w.r.t deficiencies communicated to the unit. Unit to provide acoustic enclosure and submit noise monitoring report for DG Sets. Reply receive d dated 12.11.09 and informed that bio medical waste is managed by CBWTF. Noise monitoring report of DG set submitted (conducted by DPCC on 03.11.09), meeting with the norms.

3. As per the decision on 25.11.09, CTE granted.  Inspected on 11.02.10.

· Incinerator closed down since July 2009.

· Dead animals are kept in deep freezer and disposal through CBWTF.

· BMW management found satisfactory.

4. . As decided in the meeting held on 24.2.10 a letter was issued for installation of ETP.

5. As decided in the meeting held on15.06.10 Reminder Letter was issued Reply received dated 11.8.10 stating matter with Consultant

6. As decided in the meeting held on15.09.10 letter was issued seeking present status w.r.t installation of ETP. Letter was received from the institute on 04.11.10 stating installation shall be completed within 6 -7 months tentatively.


	Representative of the Unit attended personal hearing on 09.03.11 & informed that  matter regarding installation of ETP is  under process .unit given 4 months time for installation of ETP .
	1. Letter received on 14.03.11 w.r.t ETP.
	Letter seeking status of ETP.

	57.
	NDMC Veterinary Hospital, Moti Bagh, New Delhi. 
	SW-069
	NIL
	Applied on  30.07.10
	Granted (valid upto 22.12.13)  
	Granted 
	Not asked for
	1. As decided on 01.06.09, unit Inspected on 17.08.09, following deficiencies were observed:

· Temperature in Primary and Secondary Chambers of incinerator not found within the prescribed standard.

· Proper Temperature recording System (Graphic Recorder or some computerized control system), needs to be provided.

· No segregation of waste found. There is common bin for all type of wastes.

· BMW management not found as per BMW rules.

· Colour coding not followed.

· Bio-hazard symbols not provided on storage bins.

· Isolated storage site for BMW not provided.

· Records maintained for incinerable BMW. Sharp waste management provided.

2.As decided on 04.09.09, Letter issued for CTE, CTO & for correction of the deficiencies observed during the inspection. Unit was asked to submit monitoring report for the incinerator from any of the empanelled laboratories of DPCC. Reply received dated 05.11.09, regarding measures taken/being taken.

3. As per the decision on 25.11.09, Letter issued for present status and ask for monitoring report of incinerator. 

4. Reply received on 04.01.10 regarding correction of deficiencies.  Fresh Monitoring report for incinerator not submitted.

5. As decided in the meeting held on 24.2.10 a letter was issued to incharge of the hospital to stop the use of incinerator / close down the incinerator and outsource for the treatment and disposal of the Bio-Medical Waste through CBWTF. Hospital was asked to apply for CTE, CTO & submit fresh application for authorization. Reply received. Informed regarding closure of incinerator.

6. As decided in the meeting held on15.06.10 Reminder letter was issued seeking application for authorization & CTO.

7.The Hospital was inspected on 09.11.2010 & following were the main observations:

(i) Segregation of BMW not found proper

(ii) Colour coding is not being followed as per BMW Rules

(iii)Syringe cutter provided but Syringes found not destroyed/cut their tips & found       stocked as informed .

(iv) Sharp waste management found not proper.

8. As decided in the meeting held on15.09.10 final reminder was issued seeking  CTO & CTE.

 8. As per the decision, letter for rectification of deficiencies. Issued. Reply was  not received.
	CTE & CTO granted.

Reminder for the deficiencies communicated earlier.
	1. CTE & CTO issued. 

2. Letter issued on 25.05.11. 

3. Reply received on 10.06.11 regarding rectification of deficiencies.  
	Authorization granted.  

Letter seeking present status of incinerator. 

	58.
	Pandit Madan Mohan Malviya Hospital, Govt. of Delhi,  Delhi-17
	SW-066
	92
	Applied on 01.08.11
	Applied on 16.11.10
	Granted.
	SWHS-installed.

RWHS-installed

ETP-installed

CFL- Done

PLANTATION-Done
	The Hospital was inspected on 16.11.09 & deficiencies were observed during the inspection. It was found that the hospital is having 70 beds.

2.As decided in BMW-committee no. 2, Show Cause Notice was issued to the hospital. A reply was received and it was informed that the total strength of beds are 70 and accordingly fees of authorization has been submitted.

3. As decided in the meeting held on15.06.10 letter was issued for installation of ETP, SWHS, RWHS, CFL, Plantation within 3 months & also for submission of application for CTE & CTO within 30 days. Noise monitoring report of DPCC for monitoring of 2 DG Sets  on 22.02.10 received.
4. As decided in the meeting held on15.09.10 reminder letter was issued seeking  submission of application for CTE & CTO. Hospital applied for CTE & CTO on  16.11.10
5. Hospital was inspected on 17.02.11. 
	Authorization granted.

Letter seeking adequacy report for ETP.
	1.Authorization could not be issued since period of application lapsed on  20.02.11 letter issued on 25.05.11 seeking fresh authorization application and also adequacy report for STP. 

2. Application of authorization received on 01.08.11. 

3. Adequacy report for STP yet to be submitted.
	Authorization granted.

Letter seeking Adequacy report for ETP. 

	59.
	Govt. of Delhi Hospital. (200 Bedded) at Kokiwala Bagh, Ashok Vihar, Phase-IV, New Delhi-52.
	
	200 (proposed
	       ---
	     ---
	Applied on 26.06.08.

CTE Granted on 22.09.08 for one year (Requested for Extension).
	
	1. Hospital was inspected on 20.08.08 and it was found that

Construction of the hospital was not  started so far. Boundary wall/ fencing exist. Gate of the boundary found locked.

2. Vide letter dated 22.10.08, hospital was asked to file item-wise compliance of Environmental Clearance Conditions through an affidavit, however the same has not been filed by the unit so far.

3. Reply received on affidavit on 03.03.11, requesting to extend the CTE  for another one year.

4. Hospital has submitted item-wise compliance of Environmental Clearance given by MOEF through an affidavit on  28.02.2011. 
	Reminder letter seeking item-wise compliance of Environmental Clearance given by MOEF through an affidavit.


	1.Hospital has already submitted item-wise compliance of Environmental Clearance given by MOEF through an affidavit .

2. Request received for extension of the CTE earlier granted  for  the Hospital


	Ask the unit to deposit fee for additional period (extended period) at the time of submission of application for Consent to Operate. 


Annexure 3

Decisions  Recommended  by  BMW Committee No1 w.r.t Agenda No. 4 Report of COEH “ An Exploratory Study of Mercury Exposure in Delhi .” in the Meeting Held on 27.09.2011

  

A Proposal was received from Dr. T.K.Joshi of Centre for Occupational and Environmental Health(COEH), MAMC, Delhi  for “ An Exploratory Study of Mercury Exposure in Delhi .” on 11.06.2008 .  DPCC & Finance Deptt. of Govt. of NCT Delhi has also given its concurrence for the said study. Work was awarded for the said study to  COEH  and  Rs 7.25 Lakh ( 50 % of the total amount for the study  ) was released to COEH vide letter dated 12.03.09 and the study period was 12 months.

Aims and Objectives of the said Study were as follows :

(i)To quantify elemental mercury waste generated by healthcare units in Delhi inclusive of     Dental     departments,.

(ii)To study the handling and disposal practices related to mercury waste,

(iii)To assess the exposure in dental students and teaching staff of Maulana Azad Institute of              Dental Sciences.

The study  was to be undertaken in collaboration with DPCC and Maulana Azad Institute of Dental Sciences. The data on the quantum of mercury waste generated by the health care units was proposed to  be collected using interviews and studying the records available with the units. All hospitals with more than 500 beds was to be included being the major user of mercury based instruments. A ten per cent sample of hospitals between 50 to 100 beds was to be chosen.  The sample  was to include all categories of hospitals that is Government, Municipal Corporation, ESIC, NDMC and private units. 

Recommendations of  BMW Committee No. 1, in the meeting held on 09.03.2011

Regarding “An Exploratory Study of Mercury Exposure in Delhi”, put up file administratively after getting the report from COEH .

Action Taken w.r.t. Meeting of BMW Committee No 1 on 09.03.2011 :

Report of COEH on “An Exploratory Study of Mercury Exposure in Delhi” has been received  and under consideration / under process. 

COEH has  requested  DPCC to release Rs 4.25 Lacs [ the remaining amount after deducting Rs 3.0 Lacs ( for Biological Monitoring  for blood sampling. It is informed that due to refusal of the subjects to give blood samples , blood sampling were not undertaken) and earlier released Rs 7.25 Lacs from the total of Rs 14.5 Lacs ].

Decision Recommended by the BMW Committee in the Meeting Held on 27.09.2011

The  report was briefed by Dr. T.K.Joshi to the Committee. 

File to be put up administratively.

(Keshav Chandra)              (Dr. A.K.Ambasht)               (Dr.T.K.Joshi)         (Dr. Chetna Harjai) Chairman,DPCC                 Member Secretary,DPCC             COEH ,MAMC        Scientist,DOE,GNCTD

 

                                      (D.K.Singh)                        (K.Kumar) 

                                      SEE(BMW)                        EE(BMW)   
Annexure 4

Decisions  Recommended  by  BMW Committee No1 w.r.t Agenda No.5 :Mercury Waste Disposal in Health Care Facilities, in Delhi, in the Meeting Held on 27.09.2011
Regarding safe disposal plan for  collected mercury  in the Hospital , a letter was received from Toxics Link. A letter was also received from Dr. T.K.Joshi of COEH, MAMC, regarding fixing a deadline for phasing out mercury based Equipments ( Thermometers & B.P. Measuring Apparatus etc ) in Health Care Facilities ,Delhi. 

The matter was dealt by the Environment  Department, GNCT Delhi, and as decided the said issues / matter was placed before BMW Committee No.1 , for taking appropriate decision. 

Decisions Taken by BMW Committee No. 1 in the meeting held on 15.06.2010.

(i)Regarding safe disposal plan for collected mercury in the Hospital, Dr. T. K. Joshi will

   submit proposals.

(ii)Individual letters to be issued to the hospitals having 50 beds or more, for phasing out of mercury based Equipments (Thermometers & B.P. Measuring Apparatus etc ) by 30th September, 2010 and to submit an affidavit in this regard by 7th Oct, 2010. 

Action Taken Report w.r.t Decision Taken in the Meeting Held on 15.06.2010

(i) Regarding (i) above a letter was sent to Dr. T.K.Joshi seeking  proposals for safe disposal plan for collected mercury in the Hospitals and his response is awaited.

(ii) Regarding (ii) above, individual letters were issued to all the hospitals having 50 beds or more, for phasing out of mercury based Equipments (Thermometers & B.P. Measuring Apparatus etc ) by 30th September, 2010 and to submit an affidavit in this regard by 7th Oct, 2010.  Response / Reply from the Hospitals are being received.

 Decisions Taken by BMW Committee No. 1 in the Meeting Held on 15.09.2010

1. Regarding (i) above, wait for the proposal of Dr. T.K Joshi regarding  safe disposal plan for collected mercury in the Hospitals.

2. Regarding (ii) above, the matter  to be taken up in next meeting.

Action Taken Report w.r.t Decision Taken in the Meeting Held on 15.09.2010

Regarding disposal of the collected/ stored mercury in the Hospitals/Health Care Facilities in Delhi, a meeting was taken by the Member Secretary, DPCC, on 11.10.2010 with the manufactures of thermometers / B.P. Apparatus in Delhi . Dr. T. K. Joshi was also present in the said meeting. Shri Rohit Talwar of M/s Supreme Surgico ,  262 / 425 , Lane No. 8, Friends Colony Industrial Area, Shahdara, Delhi. &  Shri Sandeep Kalra of M/s Anita Industries, 29, Bhagat Singh Market, New Delhi, shown  their interest in taking mercury ( both in elemental mercury form as well in the form of discarded B.P. Apparatus / Thermometers) stored in the hospitals at reasonable / minimum market price and recycling / reusing the same in their manufacturing activities.

As decided in the said  meeting , individual letters have been issued to the hospitals( having 50 beds or more) informing them to contact  the said units for the disposal of the Mercury Waste stored in the Hospitals / Health Care Establishment and also to inform DPCC  regarding the quantity of Mercury Waste  given to the above mentioned units. Both the units have also been informed regarding above. 

Name , address and contact No. of the said units have also been placed on the website of DPCC. 
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Recommendations of BMW Committee No. 1 in the Meeting Held on 23.11.2010

Put up the status administratively.
Action Taken Report w.r.t Decision Taken in the Meeting Held on 23.11.2010.

Brief note regarding Mercury Waste Management/Disposal in Health Care Establishments in Delhi was put up in the file along with the status prepared based on the reply/response received from the Hospitals in Delhi. 

Brief of the Outcome /Response received from the Hospitals /Health Care Establishments  (having 50 beds or more) w.r.t. phasing out of mercury based equipments.:

(i) No of Hospitals /Health Care Establishments which were issued letters on 22.07.10                    regarding phasing out of mercury based instruments                                                  --    119
(ii) No of Hospitals /Health Care Establishments which have  replied/responded           --      58
(iii) No of Hospitals /Health Care Establishments which did not reply                             --      61
(iv) No of Hospitals /Health Care Establishments which have phased out mercury based                  instruments                                                                                                                   --     49

(v) No of Hospitals /Health Care Establishments which have submitted affidavit regarding                  phasing out of mercury based instruments                                                                    --    23
(vi) Quantity of Mercury (generated from broken/discarded Mercury based Thermometers

             /B.P. Apparatus etc) stored in the Hospitals /Health Care Establishments        -- 44.21 Kgs 

    (vii)     Quantity of Mercury (generated from broken/discarded Mercury based 

                Thermometers/B.P. Apparatus etc) given to the above mentioned two units by 

                the Hospitals /Health Care Establishments                                                           ---39.755 kg

As decided in the file the matter is placed before BMW Committee No. 1.

Recommendations of BMW Committee No. 1 in the Meeting Held on 09.03.2011

The matter was briefed to the Committee and it was recommended by the Committee to issue reminder letter to the hospitals (having 50 beds or more) which have not responded/replied to the letter issued by DPCC regarding phasing out of mercury based equipments/which have not submitted an affidavit regarding phasing out of mercury based equipments, as asked by DPCC.  

Action Taken Report w.r.t Decision Taken in the Meeting Held on 09.03.2011

Reminder letter was issued to the   102 hospitals(having 50 beds or more) which had not responded  /replied to the  earlier letter issued by DPCC. The hospitals have responded / submitted affidavit regarding phasing out of mercury based equipments and the same is being compiled.

          Decision Recommended by the BMW Committee in the Meeting Held on 27.09.2011

           The matter / status was briefed to the Committee . File to be put up administratively.

(Keshav Chandra)              (Dr. A.K.Ambasht)               (Dr.T.K.Joshi)         (Dr. Chetna Harjai) Chairman,DPCC                 Member Secretary,DPCC                  COEH ,MAMC        Scientist,DOE,GNCTD

                                      (D.K.Singh)                        (K.Kumar) 

                                      SEE(BMW)                        EE(BMW)   
           Annexure 5

Decisions  Recommended  by  BMW Committee No1 w.r.t Agenda No. 6 : Regarding Electronic Waste Management in Delhi,  in the Meeting Held on 27.09.2011

1. “Hazardous waste processing viz. hospital / medical / industrial waste “  is mentioned at S.No.46 in the list of  Prohibited / Negative List of Industries ( Annexure III ) of MPD 2021. However in the Note at the end of said list mentions that a public utility service involving any of the activities mentioned in the  said list shall be permitted subject to environmental laws.     

2.Establishing Electronic Waste Management Facility in Delhi is one of the Action  Point for    DPCC ,mentioned in the Delhi Climate Change Agenda 2009- 2012.

(Task – Treatment of Electronic Waste Facility ,  Objective ----  To set up a electronic waste treatment facility in Delhi in collaboration with NGOs and other players active in this. To set up a treatment facility in Delhi where use of computers and other electronic products is increasing. , Target – 2009--- None at present but is done in informal sector with hazard to health., Target in 2012 ---  100 % treatment facility.)
3. EOI was prepared  and was published in Hindustan Times & Dainik Jagran on 23.05.08, inTimes of India & Nav Bharat Times on 27.05.08 and in Hindustan Times & Dainik Jagran on 15.06.08, inviting  EOI / proposals on “ E-Waste Management Project in Delhi “.

41 EOIs /Proposals  were received within the given period i.e. 30.06.08 and as decided  the same were sent to Deptt of Environment   for further action.  Later on as decided by the  Secy ,Env cum Chairman DPCC, in view of the scarcity of land in Delhi and other issue relating to permissible industrial processes it may not be possible to establish E-Waste processing facility therefore existing facilities of E-Waste management in nearby Delhi may be used & modalities have to be worked out in consultation with municipalities( MCD, NDMC & Cantonment Board). 

4. Following are the brief of the action taken w.r.t E-Waste management in Delhi :

(i)Public Notices were issued on 11.03.2010 and 06.06.2010 for  disposal of E-  Waste only  through the   registered Recycler/   Reprocessors.

(ii).No.of meetings were held with NDMC, MCD & Recyclers/ Reprocessors for evolving the      mechanism for collection &  storage of E-Waste in various parts of Delhi.

(iii)Storage bins for E-Waste has been installed at various Schools & also at the prominent locations      identified by MCD and NDMC .

(iv)DO letters issued to various Govt. agencies, Customs  Deptt, MSTC Ltd. for proper management and      disposal of e-waste only through recyclers registered with CPCB.
(v) Individual letters issued to Hospitals having 50 beds or more, I.T. Companies , Corporate  Houses      etc. for the disposal of E-Waste only through the registered Recycler /Reprocessors.
(vi)Meeting was held on 29.6.2010 with All Delhi Computers Traders Association of Nehru Place  for      proper disposal of E- Waste only through the registered Recycler. Posters in English & Hindi were     printed on E-Waste
(vii)DO letter issued to COI, GNCTD regarding stopping / closing down of unauthorised e-waste       processing  units in non conforming areas.
(viii) DGFT has informed that import of second hand /used computers has been restricted without any         exemption to any category and no import licenses are being issued.
5. E-Waste (Management and Handling) Rules have been notified by MOEF on 12.05.2011     and will be effective from 01.05.2012.

6. The matter regarding collection of E-Waste was also taken up  with  Chintan  and a proposal  has been received from CHINTAN  on “ Including organized informal sector ctors in E-Waste collection and safe disposal via linkages with formal, authorized handlers “ .  CHINTAN has been asked to submit  detail proposal  and application for Consent to Establish under the Air & Water Acts. Response of CHINTAN is awaited.
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Recommendations of BMW Committee No. 1 in the Meeting Held on 09.03.11.
Put up administratively on file as decided in the meetings held on E Waste taken by Chairman, DPCC.
Action taken  w.r.t Meeting of BMW Committee No. 1 on  09.03.2011.

File was put up administratively and as decided the matter is being dealt. 

     Decision Recommended by the BMW Committee in the Meeting Held on 27.09.2011

 To be discussed in the meeting on E-Waste scheduled to be held on 29.09.2011 organized by the Environment Deptt. GNCT Delhi. 
(Keshav Chandra)              (Dr. A.K.Ambasht)               (Dr.T.K.Joshi)         (Dr. Chetna Harjai) Chairman,DPCC                 Member Secretary,DPCC                  COEH ,MAMC        Scientist,DOE,GNCTD

                                      (D.K.Singh)                        (K.Kumar) 

                                      SEE(BMW)                        EE(BMW)   

