MINUTES OF THE MEETING OF BMW COMMITTEE  NO. 1  HELD ON   29.01.2009

The following officials attended the meeting:-
1.  Sh. J. K. Dadoo, Chairman, DPCC                                              --    in Chair

2.  Dr. A.K. Ambasht , Member Secretary, DPCC                           --    Member


3.  Dr. T. K. Joshi, COEH, MAMC                                                  --    Member

4.  Dr. Chetna Harjai , Scientist, Deptt of Env. GNCT, Delhi          --    Member

5.  Sh. D.K.Singh , Environmental Engineer , DPCC                       --    Member 

6.  Sh. Sanjay  Vatts, AEE (BMW), DPCC                                       --     Member

The  meeting of the  BMW Committee No. 1 ,  constituted  for deciding Application for grant of Authorization under the BMW Rules  and  Consent under the  Air / Water Acts was held  on 29.01.2009 . Decisions taken  by the Committee ,are as follows :  
1.Decisions taken w.r.t.Agenda No.1 (Total  159  Cases , of Private Hospitals / Common     Operators / Drug    Mfg Units / Drug Stockiest etc.) are at  Annexure 1. Personal Hearing     was    given in case of  4 units  and    the representative(s) of the units   were    heard and decisions    taken    in these 4 cases are at S.No. 32,48,72    & 86   of  Annexure 1. 
2.Decisions taken w.r.t. Agenda No 2 (Total   54 Cases,  of  Govt. Hospitals /  Govt. Research     Institute ) are    at Annexure 2 . Personal Hearing     was    given in case of  8 units  and the     representative(s) of the units      were    heard and decisions taken    in these 8 cases are at S.No. 4,14,15,17,25,26,35 & 51   of  Annexure 2. 
3.Decisions taken  w.r.t  Agenda No. 3 ( Regarding proposals received from Dr. T.K.Joshi on (i)    Study on    the Lead (ii)  Study on the  Effect of  Mercury Waste )  are at Annexure 3.

4.Decision taken w.r.t Agenda No 4 ( Minutes of the Meeting of Advisory Committee on BMW    Held on    31.10.2008)  is at Annexure 4

5. Decision taken w.r.t Agenda No 5 -  Monitoring of 17 Incinerators is at  Annexure 5.
6. Decision taken w.r.t Agenda No 6  Case of  M/s Medicare Products Inc. 4/7 (2nd Floor), Kirti Nagar     Industrial  Area, Delhi -15  is at Annexure 6..

Regarding  letter received from G.B.Pant Hospital w.r.t use of Blood Bags (Chlorinated Plastic Bags) and  problem  faced  in shredding  of Blood Bags after autoclaving , it was decided that comments  prepared  by Dr.T.K.Joshi , will be examined by Dr. Chetna  Harjai .

Regarding letter received from CMO (NFSG), of  Directorate General of Health Services, Ministry of Health and Family Welfare, Govt. of India, for authorization for installation and trial run of the converter demo plant in the Safdarjung Hospital for the treatment of hospital waste, it was decided that permission is not required for the Demo Plant and the same  may be informed to CMO (NFSG).   
It was informed by Dr. Chetna, Scientist ,Env.Deptt, that she has recently obtained a list  of Drugs mfg  units  in Delhi,  from the  Office of Drug Controller , Govt. of NCT Delhi. It was decided that  letter be issued  to all  the  Drug Manufacturing units based on the said list,  asking them to submit  waste water details, information regarding acoustic enclosure & adequate stack height for the D.G. Set(s) and information  about the quantity of Bio- Medical Waste generated . 

It was also decided that  posters be prepared by Dr.T.K.Joshi of COEH, on the Bio- Medical Waste  Management for the awareness  of the staff of  Hospital  / Health Care Establishments etc. 
   The next meeting of the BMW Committee No.1 will be held on  02.03.2009 at 3 : P.M.
                                  The meeting ended with a vote of thanks to the Chair.
DECISIONS TAKEN BY BMW COMMITTEE NO.1 IN THE MEETING HELD ON 29.012009 W.R.T. AGENDA NO.1 (159 CASES OF PVT.HOSPITALS/ COMMON OPERATORS/ DRUG MFG./ DRUG STOCKIST ETC.) ANNEXURE 1
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	M/s Synergy Waste Management Pvt. Ltd.    Near Composite Plant ,  Sukhdev Vihar      Okhla , New Delhi-20.  


	 Applied for authorization on 22.06.06 for 3 years as per Rules. Authorization was granted on 07.11.06 for 1year 
	Applied for Consent on 27.06.06 with 3 years fee.  Consent to operate was  granted on 07.11.06 for 1year .
	1. SCN under rule 7 of BMW Rules be issued for the following: 1. waste should not be kept in open. 2. ‘On Govt. Duty’ on vehicles should not be display. 3. sludge dewatering device be provided with ETP.4. Manual mode on PLC should not be used. 5. Measures to control smell from BMW be taken. 6. Rota meter should be provided at PC &SC of incinerator.
	1.SCN has been issued on 03.09.2007

2. Inspection has been conducted on 27-9-2007.

 3. SCN u/s 5 of EP Act was issued by CPCB on 7-9-2007 after the inspection on 24-7-2007

4. Operator has submitted reply to both the notices mentioned above.

 5. The fact finding committee has been constituted by DHS for the complaints received from residents of Sukhdev Vihar and the representations received from the operators.

6. Letter issued to The Principal Secretary (Health) for allotment of alternative site.

7.Meeting of Committee constituted by Pr. Secy.(Health) GNCTD, was held on 24.10.07.

8. Authorization under BMW Rules & Consent to operate under Air Act granted to the Operator of CBMWT Facility was upto 06.11.2007.

9. Letter from CPCB dated: 05.10.07 to  CBMWT facility with directions for taking certain measures for the compliance of BMW Rules may also be perused.( Copy enclosed) 
	 The case was discussed in detail  & Show Cause Notice issued to the operator on 03.09.2007, Reply received from the Operator of the CBMWT and inspection carried out on 27.09.07, were also considered  and following decisions were taken :

(i) W.r.t deficiency “The Bio – Medical Waste should be kept in closed bins” mentioned in the said Notice,Reply is factually incorrect and the Committee has decided to issue Show Cause Notice for Closure of the Facility. 

(ii) Regarding  erasing of “ On Government Duty “ printed on the vehicles used for collecting BMW ,  the Committee accepts the reply.

(iii)  Regarding installation of Filter Press with the ETP for dewatering of sludge as mentioned in the said Notice, despite clear Notice the unit has not complied with the directions and given justifications which is not acceptable to the Committee. The Operator of the CBMWT Facility is once again directed to install Filter Press within three weeks and confirm through an Affidavit before next date of meeting of the Committee i.e on 15.11.2007.

(iv) Regarding “The manual mode of operation in the installed programmable Logic Control (PLC) based control system should be removed “  mentioned in the said Notice, Committee is not satisfied with the reply  and the Committee insists that Automatic System (PLC)  Should only be used as  mentioned in th CPCB Guidelines and an Affidavit should be filed by the Operator with in three weeks and he should comply with this direction before the next meeting of this Committee i.e. on 15.11.2007.To ensure that Operator of the said  CBMWT Facility, complies with this direction, the Operator of the Facility , will  submit a  Bank Guarantee of Rs. One Lakh ,  valid for Six month period , in favour of Delhi Pollution Control Committee, within three weeks along with the said Affidavit.

(v) Regarding “Necessary measures should be taken for controlling the smell generated from BMW within the facility “mentioned in the Notice, the Committee accepts the reply, however any discontinuance or irregularity in the action will result in filing of another Bank Guarantee of Rs. One Lakh valid for Six month period, in favour of DPCC, by the Operator of the said Facility.

(vi) Regarding “ Rota – meters and pressure gauges should be installed in the primary and secondary chamber of the Incinerator “ mentioned in the said Notice , the Operator of the said Facility has not filed factually correct reply since the Rota meter and pressure gauges not found installed during the inspection on 27.09.07. The Committee directs him to file an Affidavit after installation of Rota meters and Pressure Gauges, within three weeks.   
	Show Cause Notice u/s 5 of EPA issued on 12.10.07 for the decisions taken by the committee. Reply along with the affidavit received for the compliance of the decision taken by the committee. Informed that provided filter press, informed regarding never use of manual mode of operation in the installed PLC, and regarding installation of Rota meters and pressure gauges, lids provided to all BMW plastic containers and necessary measures taken to control the smell, display sign (on Govt. Duty have been erased, no segregation is done within the facility, records of BMW collection and   incineration / autoclaving are being maintained. Operator of the CBMWT requested for exemption from depositing the Bank Guarantee. As directed by Chairman DPCC letter issued on 07.11.07 informing that no exemption from Bank Guarantee is possible. Operator submitted the Bank Guarantee of Rs. One Lakh , valid for 6 months.

The Operator of the facility had requested for grant of authorization under BMW Rules since earlier granted authorization expired on 06.11.07.( Consent to operate also expired on 06.11.07.)


 Decision  Taken by the Committee  in the  Meeting  on 15-11-2007:   Since  a complaint against this unit has been processed & submitted to Hon’ble Lt. Governor , Delhi, and since  its Authorization under BMW Rules & Consent  under the Air / Water Act , lapsed on 06.11.07 , full yearly authorization or 3 yearly authorization / consent under the said Rules / Acts is not possible under the circumstances. An interim extension of the  Authorization under BMW Rules and  Consent to operate under the Air / Water Acts , upto 31.12.2007, is granted by which time the status of the complaint will be decided. Meanwhile Member Secretary, DPCC, will speak to  Medical Deptt./ Directorate of Health Services & get the report of the Committee  set up by them for deciding on shifting  his location.

Action  Taken Report w.r.t. meeting on 15.11.07:  (i) Authorization under BMW Rules and consent to operate under the Air & Water Acts extended upto 31.12.07. (ii)  Letter issued to the  Convenor of the Committee constituted for said operator seeking report of the committee. Report awaited.   

(III) The operator has submitted a list of 8 units w.r.t the letter issued seeking the list of the units (drug mfg units) from which the operator is collecting BMW waste however the units not applied for authorization.. 

         M/s Synergy Waste Management Pvt. Ltd, Near  Composite Plant, Sukhdev Vihar, Okhla, Delhi-20. 

Decision Taken by BMW Committee No. 1 in the Meeting Held on 15.01.2008 : “Both, the decision of Hon’ble Lt. Governor and the inspection report are not yet available on file. These reports may be expedited and put up on file formally through Member Secretary, DPCC  and other members of the Committee to the Chairman. Since this may take 15 days, the authorization under BMW Rules and Consent to operate under Air & Water Acts may be extended for interim period of one month i.e. 31st January, 2008.”

Action Taken w.r.t Meeting on 15.01.2008 :  

In view of the above decision taken by the said BMW Committee No. 1, the extension of the Authorization under BMW Rules and Consent under the Air / Water Acts up to 31.01.2008, has been issued on 25.01.2008. Report of the Independent Committee received and  put up in file . As directed  by the Chairman, DPCC, the same is placed before the BMW Committee No.1 for the decision. 

Decision Taken by BMW Committee No. 1 in the Meeting Held on 08.02.2008 : 

The report of the Committee constituted by Pr. Secretary (Health) to enquire into the case of M/s Synergy Waste Management Pvt. Ltd. was placed before BMW Committee No-I today. The report is clear that in the long run it would not be advisable to keep the operation of Bio Medical Waste treatment facility at the existing premises at Okhla. Several options of alternate space were discussed. According to Dr. T.K. Joshi, there are three places which can be inspected and a decision can be taken in one of them which is free from all possible health hazards for operating such a facility. These are (a) Deen Dayal Upadhyaya Hospital, Hari Nagar, New Delhi (b) Rao Tula Ram Memorial Hospital, Jafferpur, Delhi & (c) Maharishi Balmiki Hospital, Pooth Khurd, Delhi. 

The above three premises may be inspected by a team headed by Dr. T.K. Joshi, Mr. D.K. Singh and the management of Synergey Waste Management Pvt. Ltd. so that an amicable solution could be found out. The report will be submitted on or before 29.02.2008. The authorization & consent of M/s Synergy Waste Management Pvt. Ltd. may be extended upto 29.02.2008 in view of the above and in the extension letter; one of the deficiencies noted would be communicated.  

Action Taken w.r.t Meeting on 08.02.2008:
(i) Authorization under BMW Rules and Consent to Operate under the Air & Water Acts extended upto 29.02.08 vide letter issued on   22 .02.08 & one of the deficiencies noted has       been communicated.

(ii)A letter dated 29.02.08,  was received from the director of M/s Synergy Waste Management Pvt. Ltd. requesting for extension of authorization under BMW Rules  for one year. As directed by      Chairman, DPCC, a letter has been issued to the said operator informing that the extension of authorization under the said Bio-medical Waste Rules, for a year, is not possible.       
(iii) A team headed by Dr. T.K.Joshi inspected the following three sites on 27.02.08 ;  1. Deen Dayal Upadhyaya Hospital, Hari Nagar, Delhi-64  2. Rao Tula Ram Memorial Hospital, Jafferpur,        Delhi-      43.   3.Maharishi Balmiki Hospital, Pooth Khurd, Delhi-39 and report was submitted to Chairman DPCC in file. The team found that none of the above mentioned three sites of the       Hospitals are       suitable for the establishment of a Common Bio-Medical Waste Treatment Facility. As directed by the Chairman, DPCC, the matter is placed before the BMW Committee No.1.(iv) A letter dated 29.02.08, has also been received from the director of M/s Synergy Waste Management Pvt. Ltd., requesting to provide a copy of the said report of the team.

Decision Taken by BMW Committee No. 1 in the Meeting Held on 18.03.2008 :

(i) While Directorate of Health Services (DHS) , Govt. of NCT Delhi and the Private     Operator (M/s Synergy Waste Management Pvt. Ltd, Near Composite  Plant, Sukhdev  

     Vihar, Okhla, Delhi- 20.) will follow up with DDA for allotment of land for    the Common Bio Medical  Waste Treatment Facility  , this matter will be raised in the    list of issues to be taken up by      Chairman, DPCC with Vice Chairman, DDA.

(ii) Authorization under BMW Rules and Consent to Operate under the Air & Water Acts extended upto 30.04.2008.(iii)Operator must get the land organized by  himself or  through DDA.  

Action Taken w.r.t Meeting on 18.03.2008:

(i) Aforementioned decision taken by the BMW Committee No.1, was sent to CMC for inclusion in the list of issues to be taken up by  Chairman, DPCC with Vice Chairman, DDA.

(ii) Authorization under BMW Rules and Consent to Operate under the Air & Water Acts extended upto 30.04.2008 vide letter issued on 09.04.08 mentioning the aforementioned decision taken by the BMW Committee No.1 in the meeting held on       18.03.08. 

(iii) Copy of the said letter was also sent to Directorate of Health Services (DHS) , Govt. of NCT Delhi.

(iv) A letter dated  28.04.08  has  been received from the director of M/s Synergy Waste Management Pvt. Ltd., requesting for extension of  authorization. Vide another letter dated 28.04.08 the Director of the unit has stated the back ground / brief of       the allotment of the said site by DDA to DHS for the said facility and also stated that the said site was inspected by officials of DHS, CPCB,  DPCC & COEH prior to its establishment. The said site is on the allotted land by DDA to DHS for       carrying out the activities of treatment and disposal of BMW. It is also mentioned that in the surrounding area is being used for waste management activities e.g. Okhla STP, MCD compost plant, NDMC waste to power project etc. It is mentioned       that DHS and DDA are in a better position to explain about the site that was already given to the operator or suggest an alternate site for  the treatment and disposal of BMW. It is also mentioned by the operator that whatever directions were given to       the operator, the same was complied and also enclosed the copy of stack monitoring report and water analysis report dated 19.09.07. showing parameters within the prescribed limit. It is also mentioned that the operator has approached DHS for       looking for an alternate land also. Requested for looking the matter sympathetically and for grant of authorization under BMW Rules and Consent to Operate under Air and Water Act.

v. A representation has been received from the residents of Sukhdev Vihar, DDA flats regarding health hazards due to treatment of large quantity of BMW at the said plant of CBMWTF. Near the residential area of Sukhdev Vihar    

Decisions Taken by BMW Committee No. 1 in the Meeting Held on 06.05.2008 :
(i) For finding a suitable alternative site for this  Common BMW Treatment Facility, a letter may be written by Chairman, DPCC, to Vice Chairman, DDA, and Commissioner, MCD, since this unit will have to be trans-located soon.
(ii) Authorization under BMW Rules and Consent to Operate under the Air & Water Acts extended upto the   next BMW Committee meeting  on 13.06.2008.
Action Taken w.r.t Meeting on 06.05.2008: 

(i) Letter issued to, Vice Chairman, DDA, and Commissioner, MCD, for finding a suitable alternative site for this  Common BMW Treatment Facility .
(ii)Authorization under BMW Rules and Consent to Operate under the Air & Water Acts extended upto  13.06.2008 vide letter issued on  21.05.08.Representatiom from the operator  received regarding extension of Authorization.  

Decisions Taken by BMW Committee No. 1 in the Meeting Held on 13.06.2008 : Authorization  under BMW Rules and Consent to Operate under  the Air & Water Acts extended upto the next BMW Committee meeting  on 14.07.2008.

Action Taken w.r.t Meeting on 13.06.2008:  (i) Authorization under BMW Rules and Consent to Operate under the Air & Water Acts extended upto  14.07..2008 vide letter issued on  27.06.08.

  (ii)  A  letter  from CMO ( BMW) , Deptt of Health Govt. of NCT , Delhi  received informing that Deptt of Health & Family Welfare ,GNCT  Delhi, has already taken up the matter   with  the DDA & has applied for an alternative land for  the present CTF at Okhla. 

         Decisions Taken by BMW Committee No. 1 in the Meeting Held on 14.07.2008 : “Ask the two operators that on what basis they are charging the fee and how are they increasing the fee overnight by 100 %. A formal clear justification of increasing the         fee may be submitted that must be examined properly and file may be submitted administratively.   If the unit does not behave, no further extension of authorization will be granted.  Reply must come within 15 days and file to be put up         administratively. 

         Action Taken w.r.t Meeting on 14.07.08:     Letter issued to both the Common Operators of Bio- Medical Waste Treatment Facilities in Delhi . 
Decisions Taken by BMW Committee No. 1 in the Meeting Held on 27.08.2008 : Both Metro-Biocare & Synergy are unauthorizingly increasing prices. File to be submitted administratively without waiting for minutes.
Action Taken w.r.t. Meeting on 27.08.2008 :  File  submitted administratively. As directed by Chairman, DPCC,  information has been tabulated and dealt in common file on the issue of rates /service charges. A PIL has been filed against the operator . Representations  have been received from the unit ( also from Chief Minister Office ) regarding request for extension of authorization. 
Decisions Taken by BMW Committee No. 1 in the Meeting Held on 29.09.2008 :  (i)  Action as per the decisions taken today  in  case of  Agenda No. 1 (Regarding  rates / service charges  for BMW ). 

                                                                                                                                         (ii) The same Committee which  inspected earlier  will inspect now for PLC system  and file report by 30.10.2008 at which time Bank Gaurantee  issue will be decided. 

Action Taken w.r.t. Meeting on 29.09.2008 : (i) Letter issued Regarding  rates / service charges  for BMW.

                                                                            (ii) Inspected on  15.10.08.

                                                                            (iii) There is PIL/High Court Case WP(C) 6976 of 2008 “P.K. Nayyar & Others Vs U.O.I & Others, regarding case filed against M/s Synergy Waste Management Pvt. Ltd. by the residents of DDA Flats Sukhdev Vihar, Delhi. DPCC is one of the respondents and Affidavit has been filed in the Court. High Court vide order dated 24.09.08 had requested Chief Secretary, GNCT Delhi, to convene a meeting of the Secretaries of the concerned departments and key personnel of the concerned agencies with  a view to taking urgent steps for relocation of the BMW   treatment facility.  The meeting was taken by the Chief secretary on 22.10.08.  Two  Letters  received from the Operator,  one regarding the representation w.r.t. meeting of Chief Secretary, Delhi regarding the High Court Case and another one in reply to the letter issued to the Operator on the Rate/charges for BMW  issue.     
Decisions Taken by BMW Committee No. 1 in the Meeting Held on 30.10.2008:
Chief Secretary, Govt of  NCT Delhi,  took a meeting  on  22.10.2008 & follow up action is being taken accordingly . The  BMW Committee  will be apprised of the updated position on 28.11.2008 . Regarding  letter received from the Operator on the issue of Rates / Service Charges for BMW ,  Operator  be asked to follow the Directorate of Health Services(DHS) agreement. Place a copy on the file.  Inspection of the unit was conducted by Independent Committee headed by Air  Mashl (Retd.) L.K.Verma , Dr. T.K..Joshi  & DPCC official  on 15.10.08 . The inspection report was placed before the Committee. Installed Programmable Logic Control (PLC) based control System was  found in use & found  operating satisfactorily. Independent Committee had recommended in its report to segregate Cat 6 waste in red bags (and not in yellow bags) to reduce load on the incinerator in order to reduce emission and particulate matter pollution. Both  the Operators be issued a letter in this regard to convey this to their member units  for proper segregation of the Bio-Medical Waste.

Action Taken w.r.t. Meeting on  30.10.2008 :  (i)  Letter issued to both the Operators to follow the Directorate of Health Services(DHS) agreement & to convey  the aforementioned decision of the Committee  to their member units for proper segregation of the Bio-Medical Waste. (ii) Team constituted for visit of  area  for Rural Growth Centre Site  at Ghogha  Village , not found the site suitable since the area is being developed by MCD for Relocation of Dairies & it was also revealed that in the nearby area there is Air Base of Armed Forces.   
(iii) A Team constituted by Chief Secretary ,GNCTD ( as decided in the meeting on 22.10.08), also visited the sites on 31.10.08, as suggested by the representatives of the  Association of  residents of  DDA Flats Sukhdev  Vihar , Delhi, and submitted its report . 
(iv)Next Date of Hearing in the said PIL is on 14.01.2008. 


 (v) M/s Synergy Waste Management Pvt. Ltd , has given representation and requested for extension of the Authorization under BMW Rules.

Decisions Taken by BMW Committee No. 1 in the Meeting Held on  28.11.2008:
Extension of Authorization allowed up to today i.e. up to 28.11.2008 . Further action will be taken based on the decision  about the  location. Dr. Chetna to Talk to Dr. K.S. Baghotia , CMO( BMW) of DHS regarding the representation received from the Operator on the Issue of  rates / service charges for BMW.

Action Taken w.r.t. Meeting on  28.11.2008:                           Letter issued

Decisions Taken by BMW Committee No. 1 in the Meeting Held on  29.12.2008:
Ask the unit to comply with the prescribed  standards  with a stringent warning that if any of the parameters are not met authorization will be cancelled. Also if the unit does not abide by any of the  cluase of the agreement with DHS its authorization will be cancelled. Unit may be directed to contact DHS and get his premises shifted to the new site as per the minutes of the meeting taken by the Chief Secretary, Govt. of Delhi last week. The relocation has to be done at his own cost and risk as DPCC is not happly with his style / system of functioning as noted during the various inspections of the unit. Call on 29.01.2009. 

Action Taken w.r.t. Meeting on  29.12.2009:                  Letter issued. 
Decisions Taken by BMW Committee No. 1 in the Meeting Held on  29.01.2009
                                                                                                                                          Ask the unit to file full compliance of directions issued to it earlier. Call on 02.03.2009.
     (J.K. Dadoo)                      (Dr. A.K. Ambasht)                  ( Dr.T.K.Joshi)          ( Dr. Chetna Harjai)               ( D.K.Singh)                        ( Sanjay Vatts)

  Chairman,DPCC              Member Secretary,DPCC              COEH ,MAMC     Scientist, DOE , GNCTD       EE(BMWM Cell)                 AEE (BMWM Cell)
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	1.
	Lok Nayak Hospital, New Delhi-2
	1600


	C-001
	12-Jan-04
	03-Mar-08(operate) 
	1. Authorization is valid up to 18-2-2010.

2. Earlier  SCN u/s 21/22 of Air Act was issued on 6-3-2007(C/241) and on 11-6-2007(C/243) seeking consent application under the Air Act.

3. Complaint was  received regarding mismanagement of BMW.

4. Balance Fee for Rs. 496500 not received.

5. Applied for Consent to operate on 03.03.08.

6. As decided in the meeting on 18.03.08, letter for deficiencies was issued including seeking application for Consent to Establish under the Air & Water Acts. 

7. As per the general decision taken on 06.05.08, letter issued for installation of:

(a) Solar water heating system 

(b) Rain water harvesting system 

(c) Replacement of ordinary Bulbs with CFL 

(d)  ETP (e) Plantation of trees along side of the periphery of the Hospital building.                                                                                 8. Hospital was inspected w.r.t News Paper Clipping & also reference was received from Hon’ble Lt. Governors office . Incinerator & Autoclave etc. were also inspected. Air Pollution Control  Device ( APCD) installed with the incinerator was found not operational. By pass system found existing for the discharge of the emissions of the incinerator. Acoustic Enclosure / acoustic treatment of the rooms where DG Sets are kept  not provided  & adequate stack height not provided for the DG Sets ETP is yet to be  commissioned. 

9. Reply  Letter  sent  to Lt. Governor’s  office. 

10. Based on the complaint received against the kabariwalas operating near the Hospital  an inspection was conducted by the PGRC officials & as decided by the CMC (orange ) & after the 

hearing given to the kabariwalas & based on their statements regarding collection of BMW by the ragpickers from the Dhalaos of the hospitals in the nearby area including the name of this hospital , a Show Cause Notice was given to the hospital on 25.07.08. 

11. Reply received w.r.t said SCN stating that BMW is being managed properly and there is no pilferage of the BMW or picking up by the ragpickers . 

12. Not applied for Consent to Establish  under the Air & Water Acts.

13. As per the decision taken in meeting on 13.06.08 a common letter to Pr. Secy(Health) with copy to Pr.Secy(PWD) from chairman, DPCC was issued.

14. Pointwise reply dated 16.10.08, regarding correction of the discrepancies observed during inspection is received informing: Air Pollution Control Device is being made functional and also incinerator’s chimney has been repaired. For providing acoustic enclosures to the DG sets reply of PWD engineer attached.

(i) Balance fee of Rs.4,96,500/- received

(ii)Informed that ETP installation work is completed capacity is of 12.50KLD and approx. cost of the work of ETP is Rs.70lacs. (iii)Noise monitoring report submitted.

15. Decision taken on 27.08.08

 Reminder letter be sent administratively to new Pr. Secy (Health) for getting the Consent to Establish. Letter issued.


	Apply for  CTE within one week and install Solar Water Heating System  and Rain Water Harvesting System within a month. 


	Letter Issued
	Dr. Chetna to speak. Call on 29.01.2009.
	Dr. Chetna spoken


	Dr. Chetna to speak. Call on 02.03.2009.
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	Decision Taken in the Meeting on 29.12.08
	Action Taken w.r.t. Meeting on 29.12.08
	Decision Taken in the Meeting on 29.01.09



	2.
	Guru Teg Bahadur Hospital, Shahdara , Delhi-95


	938
	NE-001
	22-May-07
	19-Dec-07(CTO) & 18.11.08(CTE)
	1. Authorization is valid up to 18-2-2010 (C/234).

2. A meeting was also taken by Pr. Secy. (Health) on 25.10.07 regarding installation of ETP .

 3..As decided in the meeting on 18.03.08, letter for deficiencies was issued including seeking application for Consent to Establish under the Air & Water Acts. 

4..As per the general decision taken on 06.05.08, letter issued on 26.05.08  for installation of:(a) Solar water heating system 

(b) Rain water harvesting system (c) Replacement of ordinary Bulbs with CFL (d)  ETP (e) Plantation of trees along side of the periphery of the Hospital building.

5. A complaint was received against the  hospital for not handling the BMW properly. 6. As per the decision taken in meeting on 13.06.08 a common letter to Pr. Secy(Health) with copy to Pr.Secy(PWD) from chairman, DPCC was issued.

7. Letter dated 23.10.08 received regarding all the machinery like autoclave, incinerator and shredder plant are in working order.

8.As decided on 27.08.08, a reminder  was issued administratively to new Pr. Secy (Health) for getting the Consent to Establish. 

9.. w.r.t letters dated 23.09.08,15.07.08 & 02.05.08, HCU vide letter dated 22.10.08 submitted  Test reports for incinerator, Boiler, Noise Report for DG Sets & Regarding 5 Points informed that  matter has been reported that  brought into the notice of PWD. 

10. Vide letter dated 04.10.08, HCU has requested MOEF to clarify whether ETP is required considering that Effluent of the Hospital is finally treated in Kondli STP and also apprehended that the ETP will expose the Hospital Staff and Patients to Various microbs etc. Indulgence of MOEF Has been sought to clarify the whole issue. 

11. Applied for CTE on 18.11.08.

12. Inspection of the Hospital  & monitoring of the incinerator  was conducted on 16.01.09 . Deficiencies observed.      Temperature range for Primary & Secondary Chambers are not meeting the prescribed standards. 
	Regarding the exemption of ETP installation, an appropriate reply to be drafted and to be put up administratively. Install 

Solar Water Heating System  and Rain Water Harvesting System within a month.


	Letter Issued
	Call on 29.01.2009.
	-------
	Issue D.O. Letter from MS,DPCC to MS of Hospital with copy to Pr. Secy(Health)

GNCT Delhi, for rectification of the deficiencies observed during the inspection and monitoring. Unit to submit fresh  monitoring report for incinerator. Unit to file compliance report,

 on the five points mentioned in our earlier letters .Call on 02.03.2009. 



	Sl No.
	Name and Address of HCU
	Bed (No.)
	Dist. No.
	Authorization Application Date
	Consent Application Date
	 Status of the Case / Remarks 
	Decision Taken in the Meeting on 28.11.08
	Action Taken w.r.t. Meeting on 28.11.08
	Decision Taken in the Meeting on 29.12.08
	Action Taken w.r.t. Meeting on 29.12.08
	Decision Taken in the Meeting on 29.01.09



	3.
	Deen Dayal Upadhya Hospital, Hari Nagar, New Delhi-64
	500
	W-002
	13-Oct-04 &

23rd July 2008


	16-Jan-08(operate)
	1. SCN u/s 5 of EPA was issued on 6-3-2007(C/282) .

2. As decided on 1-8-2007, D.O. letter was issued on 17-8-2007 to Pr Secy  (Health) regarding deficiencies observed .

3. Applied for Consent to Operate on 16.01.08

4. As decided in the meeting on 18.03.08, letter for deficiencies was issued including seeking application for Consent to Establish under Air & Water Acts.

5. As per the general decision taken on 06.05.08, letter issued  on 26.05.08 for installation of:

(a) Solar water heating system 

(b) Rain water harvesting system 

(c) Replacement of ordinary Bulbs with CFL 

(d)  ETP 

(e) Plantation of trees along side of the periphery of the Hospital building.

6. As per the decision taken in meeting on 13.06.08 a common letter to Pr. Secy(Health) with copy to Pr.Secy(PWD) from chairman, DPCC was issued.

15.Reminder letter  was  sent to new Pr. Secy (Health) for getting the Consent to Establish as decided on 27.08.08.

16. Letter dated 22.01.09 received regarding CTE  Etc.

	Issue ReminderLetter 
	Letter Issued
	Dr. Chetna to speak. Call on 29.01.2009.
	Dr. Chetna spoken


	Dr. Chetna to speak. Call on 02.03.2009.

	Sl No.
	Name and Address of HCU
	Bed (No.)
	Dist. No.
	Authorization Application Date
	Consent Application Date
	 Status of the Case / Remarks 
	Decision Taken in the Meeting on 28.11.08
	Action Taken w.r.t. Meeting on 28.11.08
	Decision Taken in the Meeting on 29.12.08
	Action Taken w.r.t. Meeting on 29.12.08
	Decision Taken in the Meeting on 29.01.09



	4.


	Charak Palika Hospital,  Moti Bagh ,  New Delhi-21
	150


	ND-003


	09-Jun-06
	Not Applied
	1. SCN u/s 5 of EPA  was issued earlier & reply was received with the remarks that all the deficiencies mentioned in SCN have been rectified (C/202).

2. SCN u/s 21/22 of Air Act was issued on 16-3-207(C/201) and on 11-6-2007(C/203) .

3. As decided on 1-8-2007, D.O. letter was issued on 17-8-2007 to Chairperson, NDMC.

4. Reminder letter issued on 28.09.07, however consent application not received.

5 EE (BMW) talked to the official of the hospital as decided on 15.11.07. However not applied for consent under the Air Act.

6. As decided in the meeting on 18.03.08, letter for deficiencies was issued including seeking application for Consent to Establish under Air & Water Acts. 

6. As per the general decision taken on 06.05.08, letter issued on 26.05.08 for installation of:

(a) Solar water heating system (b) Rain water harvesting system © Replacement of ordinary Bulbs with CFL (d)  ETP (e) Plantation of trees along side of the periphery of the Hospital building.

7.Reply dated 19-06-08.w.r.t letter dated 26-05-08 received  informing about doing the needful as directed.

8. As per the decision taken in meeting on 13.06.08 a letter from chairman DPCC to Chairman NDMC was issued.

Letter dated 23.10.08 received.

15. Decision taken on 27.08.08       Reminder letter be sent administratively to Pr. Secy (Health) for getting the Consent to Establish. Letter issued.
16.Reply dated 20.01.09 received stating that matter is under process for CTE & CTO.

17. Reminder to apply for CTE and submit compliance of other decisions of BMW Committee was issued as per the decision taken on 30.10.08.


	Issue Reminder Letter. 
	Reminder Issued
	Call for personal hearing on 29.01.2009 at 3.40 PM.
	Letter issued
	The unit came for personal hearing today. It will file the CTE and CTO within a week; It has partially complied by our conditions and will comply with the remaining conditions by 02.03.2009. Call on 02.03.2009.

	Sl No.
	Name and Address of HCU
	Bed (No.)
	Dist. No.
	Authorization Application Date
	Consent Application Date
	 Status of the Case / Remarks 
	Decision Taken in the Meeting on 28.11.08
	Action Taken w.r.t. Meeting on 28.11.08
	Decision Taken in the Meeting on 29.12.08
	Action Taken w.r.t. Meeting on 29.12.08
	Decision Taken in the Meeting on 29.01.09



	5.
	Ram Manohar Lohia Hospital, Baba Kharak Singh Marg ND-1
	1000
	ND-002


	29-Jun-06
	20.09.07(operate)
	1. Authorization is valid up to 18-02-2010 (C/183).

2.Deficiencies observed w.r.t. consent application received e.g. noise monitoring report of all the DG sets not submitted & it also not clear that all the DG sets are having acoustic enclosure & as well as adequate stack height. Stack monitoring report of the boilers (2nos.) not submitted. Affidavit submitted is not proper. HCU  requested for review of the decision taken for installation of ETP referring the prescribed standard under EPA.. 

 5.Noise Monitoring Report for DG sets received from DPCC Laboratory shows meeting the norms. 

6. As decided in the meeting on 18.03.08 letter for deficiencies was issued  including seeking application for Consent to Establish under Air & Water Acts. 

6..Letter received on 22.5.2008 enquiring that whether installation of ETP is required or not.

7 As per the general decision taken on 06.05.08, letter issued for installation of:  (a) Solar water heating system (b) Rain water harvesting system 

(c) Replacement of ordinary Bulbs with CFL (d)  ETP (e) Plantation of trees along side of the periphery of the Hospital building.

8.EE(BMW)  had  talked to the official (s) of the hospital .

9. As per the decision taken in meeting on 13.06.08 a common letter to Jt. Secy(Health) with copy to D.G.(CPWD) from chairman, DPCC was issued.

10. Decision taken on 27.08.08

 Dr. Joshi to talk to MS and sought out. Dr. Joshi, Talked.
11. Letter dated 15.11.08, received from HCU, referring their earlier letters dated 08.08.07 & 16.05.08 & sought clarification whether installation of ETP at this Hospital is required considering the provisions of BMW Rules & also the Effluent finally goes to Okhla STP.

12. Inspection of the Hospital  & monitoring of the incinerator  was conducted on 19.12.08 .  VOC & Temperature range for Primary & Secondary Chambers are not meeting the prescribed standards. As decided on 29.12.08, letter issued for the deficiencies observed.
	Regarding the exemption of ETP installation, an appropriate reply to be drafted and to be put up administratively. 

Ask for CTE and confirmation of Rain Water Harvesting System & Solar Water Heating System .
	Letter Issued
	Deficiencies noted during the inspection may be communciated to the unit for correction. Call on 29.01.2009.
	Letter issued
	Issue reminder. Call on 02.03.2009.

	Sl No.
	Name and Address of HCU
	Bed (No.)
	Dist. No.
	Authorization Application Date
	Consent Application Date
	 Status of the Case / Remarks 
	Decision Taken in the Meeting on 28.11.08
	Action Taken w.r.t. Meeting on 28.11.08
	Decision Taken in the Meeting on 29.12.08
	Action Taken w.r.t. Meeting on 29.12.08
	Decision Taken in the Meeting on 29.01.09



	6.


	G.B. Pant Hospital, J.L. Nehru Marg, New Delhi-2 


	601
	C-002


	30-Jun-06
	26.09.07(operate)
& CTE on 29.12.08


	1.As decided on 1-8-2007, D.O. letter was issued on 17-8-2007 to Pr Secy  (Health).

2. Complaint  was received regarding mismanagement of BMW.

3.Applied for consent under Air Act on 26.09.07, however stack monitoring  report for boiler not submitted. Acoustic enclosure/acoustic treatment  of the room not provided for the 9 DG Sets out of 12 DG Sets with the hospital. Adequate stack height not provided for all the DG Sets

4. As decided in the meeting on 18.03.08 letter for deficiencies was issued  including seeking application for Consent to Establish under Air & Water Acts.

5. Letter has been received requesting to issue clearance certificate to operate the incinerator.

6.As per the general decision taken on 06.05.08, letter issued on 26.05.08  for installation of:   (a) Solar water heating system  

(b) Rain water harvesting system (c) Replacement of ordinary Bulbs with CFL (d)  ETP (e) Plantation of trees along side of the periphery of the Hospital building.

7.Point wise reply dated 02-07-08  w.r.t letter dated 26-05-08 received.

8. Based on the complaint received against the kabariwalas operating near the Hospital  an inspection was conducted by the PGRC officials & as decided by the CMC (orange ) & after the hearing given to the kabariwalas & based on their statements regarding collection of BMW by the ragpickers from the Dhalaos of the hospitals in the nearby area including the name of this hospital , a Show Cause Notice was given to the hospital on 25.07.08. 

9. Reply received w.r.t said SCN stating that BMW is being managed properly and there is no pilferage of the BMW or picking up by the ragpickers . 

10. An inspection of the hospital was conducted on 22.07.08 & BMW management found satisfactory. However, Separate isolated storage site needs to be provided. Acoustic enclosure/acoustic treatment of the room not provided for the 9 DG Sets out of 12 DG Sets with the hospital. Adequate stack height not provided for all the DG Sets. The hospital has recently installed Microwave. ETP found installed & was in operation (on trial run). Storage site required to be provided for Sludge generated from the ETP & Collection tank for treated effluent should also be provided. Use of treated effluent should be increased which is presently about 10 %.

11. As decided by Chairman on file, a letter has been issued  on 22.08.08 ,mentioning the deficiencies observed.

12. Decision taken on 27.08.08.

 Letter from Chairman to Director, GB Pant to apply for Consent to Establish immediately. Letter issued.

13.Letter dated 10.01.09 received regarding  disposal of blood bags.


	Issue Reminder and CTE to be filed.
	Reminder Issued
	AEE to assist the hospital for completing the application for Conent to Establish. Call on 29.01.2009.
	CTE submitted
	Call on 02.03.2009.

	Sl No.
	Name and Address of HCU
	Bed (No.)
	Dist. No.
	Authorization Application Date
	Consent Application Date
	 Status of the Case / Remarks 
	Decision Taken in the Meeting on 28.11.08
	Action Taken w.r.t. Meeting on 28.11.08
	Decision Taken in the Meeting on 29.12.08
	Action Taken w.r.t. Meeting on 29.12.08
	Decision Taken in the Meeting on 29.01.09



	7.


	Northern Railway Central Hospital, Medical Director, Northern Railway Basant  Lane

 New  Delhi-55
	312
	C-006


	25-Aug-06
	19-Nov-07(operate)
	1. Application received for consent however Stack monitoring report for the Boiler & Noise Monitoring report for DG Sets not submitted. 

2. As decided in the meeting on 18.03.08 letter for deficiencies was issued  including seeking application for Consent to Establish under Air & Water Acts.

3.As per the general decision taken on 06.05.08, letter issued on 26.05.08 for installation of:

(a) Solar water heating system
(b) Rain water harvesting system 
(c) Replacement of ordinary Bulbs with CFL 
(d)  ETP 
(e) Plantation of trees along side of the periphery of the Hospital building.

 4.Reply dated  11-06-08 w.r.t letters dated 21-04-08and 26-05-08 regarding doing the needful as directed was received.

5..Asked to submit a list of authorized agencies by DPCC in order to process installation of ETP in hospital 

6. A reply of the notice dated 11.06.07 on 15.09.08 informing acoustic treatment of DG set room and issuing of NOC under Air Act received.

8. As decided  on 27.08.08 Dr. Joshi  talked to MS  of the Hospital.

	Issue Reminder for  Solar Water Heating System, Rain Water Harvesting System & ETP and for CTE.. 


	Letter Issued
	Issue final reminder to apply for Consent to Establish. Call on 29.01.2009
	Reminder issued
	Call on 02.03.2009.

	Sl No.
	Name and Address of HCU
	Bed (No.)
	Dist. No.
	Authorization Application Date
	Consent Application Date
	 Status of the Case / Remarks 
	Decision Taken in the Meeting on 28.11.08
	Action Taken w.r.t. Meeting on 28.11.08
	Decision Taken in the Meeting on 29.12.08
	Action Taken w.r.t. Meeting on 29.12.08
	Decision Taken in the Meeting on 29.01.09



	8.
	Guru Nanak Eye Centre, Maharaja Ranjit Singh Marg , New Delhi
	184


	C-003


	11-Sep-06
	30-11-06(Operate)
	1.Authorization is valid up to 18-2-2010(C/157).

2.Noise report shown that Insertion Loss was not as per norms.

3. As decided in the meeting on 18.03.08 letter for deficiencies was issued  including seeking application for Consent to Establish under Air & Water Acts.

4..Copy of communication with PWD regarding Noise monitoring report  submitted.

5.As per the general decision taken on 06.05.08, letter issued on 26.05.08 for installation of: 

(a) Solar water heating system 

(b) Rain water harvesting system 

(c) Replacement of ordinary Bulbs with CFL 

(d)  ETP 

(e) Plantation of trees along side of the periphery of the Hospital building.    Reply  received

6.. Based on the complaint received against the kabariwalas operating near the Hospital  an inspection was conducted by the PGRC officials & as decided by the CMC (orange ) & after the hearing given to the kabariwalas & based on their statements regarding collection of BMW by the ragpickers from the Dhalaos of the hospitals in the nearby area including the name of this hospital , a Show Cause Notice was given to the hospital on 25.07.08. 

7. Reply received w.r.t said SCN stating that BMW is being managed properly and there is no pilferage of the BMW or picking up by the ragpickers .

8. As per the decision taken in meeting on 13.06.08 a common letter to Pr. Secy(Health) with copy to Pr.Secy(PWD) was issued.

9. Decision taken on 27.08.08

    Reminder letter be sent administratively to new Pr. Secy          (Health) for getting the Consent to Establish.
Letter issued.


	Reminder for CTE, ETP and Rain Water Harvesting System and confirmation of installation of Solar Water Heating System.
	Letter Issued
	Issue final reminder to apply for Consent to Establish. Call on 29.01.2009
	Reminder issued
	Issue reminder. Call on 02.03.2009.

	Sl No.
	Name and Address of HCU
	Bed (No.)
	Dist. No.
	Authorization Application Date
	Consent Application Date
	 Status of the Case / Remarks 
	Decision Taken in the Meeting on 28.11.08
	Action Taken w.r.t. Meeting on 28.11.08
	Decision Taken in the Meeting on 29.12.08
	Action Taken w.r.t. Meeting on 29.12.08
	Decision Taken in the Meeting on 29.01.09



	9.


	E.S.I. Hospital , Basai Darapur,Ring Road , New Delhi-15
	600


	W-001


	30-Nov-06
	Applied for CTE on 17.09.08
	1. Authorization is valid up to 18-2-2010(C/99).

2. SCN u/s 21/22 Air Act was issued on 11-6-2006 (C/103).

4. DO letter was issued to J.S (Labour), GOI with a copy to DG, reply received from DG ESI, 

5 EE (BMW) talked to the official of the hospital as decided on 15.11.07..

5. As decided in the meeting on 18.03.08 letter for deficiencies was issued  including seeking application for Consent to Establish under Air & Water Acts

6..As per the general decision taken on 06.05.08, letter issued on 26.05.08  for installation of:

(a) Solar water heating system 

(b) Rain water harvesting system 

(c) Replacement of ordinary Bulbs with CFL 

(d)  ETP 

(e) Plantation of trees along side of the periphery of the Hospital building.

7. Reply  Letter dated 19-06-08  received.

8. As per the decision taken in meeting on 13.06.08 EE talked to officials of the hospital.

9. As decided  on 27.08.08

 Dr. Joshi  talked to MS of the hospital.

10. Letter was issued asking the Hospital to install ETP.    within 3months, as decided on 30.10.08.


	Call on 29.12.2008



	No Action
	Ask the unit to submit interim report . Call on 29.01.2009.
	Letter issued
	Issue reminder. Call on 02.03.2009.

	Sl No.
	Name and Address of HCU
	Bed (No.)
	Dist. No.
	Authorization Application Date
	Consent Application Date
	 Status of the Case / Remarks 
	Decision Taken in the Meeting on 28.11.08
	Action Taken w.r.t. Meeting on 28.11.08
	Decision Taken in the Meeting on 29.12.08
	Action Taken w.r.t. Meeting on 29.12.08
	Decision Taken in the Meeting on 29.01.09



	10.


	All India Institute of Medical Science, Ansari Nagar, New Delhi-29
	1596
	S-001


	28-Dec-07
	12.09.08(CTO) and 12.09.08 (CTE)
	1. SCN for refusal of authorization was issued on 21-2-2007(C/204).

2. Reply to SCN u/s 5 of EPA received with the remarks that necessary instruction for strict compliance of the statutory provisions have been issued to concerned officer (C/207).

3. HCU was inspected on 8-8-2007(C/212) during which various deficiencies were observed regarding BMW management

4. DO letter issued to Director AIIMS with copy to JS (Health) GOI on 03.10.07. Consent application not received.

5 EE (BMW) talked to the official of the hospital as decided on 15.11.07. However not applied for consent under the Air Act.

6. As decided in the meeting on 18.03.08 letter for deficiencies was issued  including seeking application for Consent to Establish under Air & Water Acts

7. As per the general decision taken on 06.05.08, letter issued on 26.05.08 for installation of   (a) Solar water heating system

(b) Rain water harvesting system (c) Replacement of ordinary Bulbs with CFL (d)  ETP (e) Plantation of trees along side of the periphery of the Hospital building. 

8.Reply dated 11-06-08.w.r.t letter dated 26-05-08 received informing about doing the needful as directed. 

9. As per the decision taken in meeting on 13.06.08 a common letter toJt. Secy(Health) with copy to D.G.(CPWD) from chairman, DPCC was issued.

10. Letter was issued to install ETP within three months as decided on 30.10.08.11. Letter dated 05.01.09 received 

12. Hospital was inspected and incinerator was monitored  on 20.12.08. Particulate Matter , VOC , and Temperature Range for the Primary & Secondary Chambers  not found  within the prescribed standards. Deficiencies observed w.r.t. management of Bio-Medical Waste . As decided by the Committee, letter issued for the deficiencies observed. 
	Call on 29.12.2008
	No Action
	Chairman, DPCC to write to Director, AIIMS with a copy to Secretary (Health),Govt. of India and PS to Minister (Health),Govt. of India outlining all the deficiencies observed during the inspection and requiring immediate correction. File to be submitted administratively within 01

week and compliance by 29.01.2009.Callon29.01.2009
	Letter issued
	Issue reminder. Call on 02.03.2009.

	Sl No.
	Name and Address of HCU
	Bed (No.)
	Dist. No.
	Authorization Application Date
	Consent Application Date
	 Status of the Case / Remarks 
	Decision Taken in the Meeting on 28.11.08
	Action Taken w.r.t. Meeting on 28.11.08
	Decision Taken in the Meeting on 29.12.08
	Action Taken w.r.t. Meeting on 29.12.08
	Decision Taken in the Meeting on 29.01.09



	11.
	Safderjung Hospital, Aurobindo MargNew Delhi-29
	1531
	S-002


	05-Mar-07
	12-09-08 (Renewal operate) & 

08.08.08 (CTE)
	1.Authorization is valid up to 30-01-2010(C/268).

2.SCN u/s 21/22 of Air Act to submit noise monitoring report of DG sets was issued on 21-06-2007 (C/275).

3.Noise monitoring report of D.G. sets yet to be received.

4. DO letter issued to JS (Health) GOI on 03.10.07.

5. As decided in the meeting on 18.03.08 letter for deficiencies was issued  including seeking application for Consent to Establish under Air & Water Acts

6.As per the general decision taken on 06.05.08, letter issued ON 26.05.08  for installation of:  (a) Solar water heating system (b) Rain water harvesting system (c) Replacement of ordinary Bulbs with CFL 

(d)  ETP (e) Plantation of trees along side of the periphery of the Hospital building.

EE (BMW)  had  talked to the official (s) of the hospital .

7. As per the decision taken in meeting on 13.06.08 a common letter to Jt. Secy (Health) with copy to D.G.(CPWD) from chairman, DPCC was issued.

8. Applied for CTE on 08.08.08.9. Letter dated 24.10.08 received.

10. As decided on  27.08.08  CTE and letter were issued and unit was asked to file CGWA clearance within 01 month. 

Letter was issued on 22.10.08 for ETP and other decisions of BMW Committee . Reminder letter was issued as decided on 30.10.08.

W.r.t letter dated 22.10.08, Vide letter dated 08.11.08, informed that for ETP, letter has been sent to highest authority & the matter is under progress.

11. Letter dated 31.12.08 received regarding  converter demo plant for the treatment of  BMW. 

12. Inspection of the Hospital  & monitoring of the incinerator  was conducted on 07.01.09 . VOC & Temperature range for Primary Chamber are not meeting the prescribed standards.

	Three months time for ETP and compliance of Solar Water Heating System, Rain Water Harvesting within one month.
	Letter Issued
	Ask the unit to submit interim report and Dr. Chetna to speak. Call on 29.01.2009.

	Letter issued


	Issue D.O. Letter from MS,DPCC to MS of Hospital with copy to  Secy(Health)

Govt.of India, forrectification of the deficiencies observed during the inspection and monitoring. Unit to submit fresh  monitoring report for incinerator. Unit to file compliance report, 

on the five points mentioned in our earlier letters .Call on 02.03.2009. 

	Sl No.
	Name and Address of HCU
	Bed (No.)
	Dist. No.
	Authorization Application Date
	Consent Application Date
	 Status of the Case / Remarks 
	Decision Taken in the Meeting on 28.11.08
	Action Taken w.r.t. Meeting on 28.11.08
	Decision Taken in the Meeting on 29.12.08
	Action Taken w.r.t. Meeting on 29.12.08
	Decision Taken in the Meeting on 29.01.09



	12.
	Aruna Asaf Ali Hospital, 5 Rajpur Road, Delhi
	100
	N-005


	11-Aug-04
	18.09.07(operate) & CTE on 26.11.08
	1. Authorization is valid up to 30-01-2010 (C/186).

2. Acoustic enclosure with the DG set provided, however noise monitoring report not submitted. 

3. As decided in the meeting on 18.03.08 letter for deficiencies was issued  including seeking application for Consent to Establish under Air & Water Acts
6. As per the general decision taken on 06.05.08, letter issued on 26.05.08  for installation of:

(a) Solar water heating system 

(b) Rain water harvesting system 

(c) Replacement of ordinary Bulbs with CFL (d)  ETP (e) Plantation of trees along side of the periphery of the Hospital building.
7. As per the decision taken in meeting on 13.06.08 a common letter to Pr. Secy (Health) with copy to Pr.Secy (PWD) from chairman, DPCC was issued.

8. Decision taken on 27.08.08

Reminder letter be sent administratively to new Pr. Secy (Health) for getting the Consent to Establish. Letter issued. 

9. Reply dated 13.01.09 received informing that matter regarding installation of ETP is under process.

	CTE can not be granted without ETP installation, time of three months for ETP installation and one month for confirmation of installation of Solar Water Heating System. 
	Letter Issued
	Dr. Chetna to speak. Call on 29.01.2009.
	Dr. Chetna spoken


	Dr. Chetna to speak. Call on 02.03.2009.

	Sl No.
	Name and Address of HCU
	Bed (No.)
	Dist. No.
	Authorization Application Date
	Consent Application Date
	 Status of the Case / Remarks 
	Decision Taken in the Meeting on 28.11.08
	Action Taken w.r.t. Meeting on 28.11.08
	Decision Taken in the Meeting on 29.12.08
	Action Taken w.r.t. Meeting on 29.12.08
	Decision Taken in the Meeting on 29.01.09



	13.


	Sanjay Gandhi Memorial Hospital, Mangolpuri ,Delhi


	100
	NW-012
	30-Nov-04
	27.04.04
	1. SCN under BMW Rule was issued on 21-2-2007(C/80).

2. Reply to SCN u/s 5 of EPA received with the remark that corrective measures have been taken(C/81).

3. As decided on 1-8-2007, D.O. letter was issued on 17-8-2007 to Pr Secy (Health).4. Meeting taken by Pr. Secy. (Health) on 25.09.07, HCU was directed (in the     meeting) to inform DPCC about the rectification measures.5.Three years expired after the submission of the earlier consent application;     however HCU has not applied afresh for consent under the Air Act.

6.Talked to the official of the hospital as decided on 15.11.07. However not applied a fresh for consent under Air Act.

7. As decided in the meeting on 18.03.08 letter for deficiencies was issued  including seeking application for Consent to Establish under Air & Water Acts

8. As per the general decision taken on 06.05.08, letter issued on 26.05.08 for installation of:

(a) Solar water heating system 

(b) Rain water harvesting system 

(c) Replacement of ordinary Bulbs with CFL 

(d)  ETP 

(e) Plantation of trees along side of the periphery of the Hospital building.

9..Reply dated 16-06-08.w.r.t latter dated 26-05-08.regarding doing the needful as directed was received.

10. As per the decision taken in meeting on 13.06.08 a common letter to Pr. Secy(Health) with copy to Pr.Secy(PWD) from chairman, DPCC was issued.

11. Decision taken on 27.08.08

Reminder letter be sent administratively to new Pr. Secy (Health) for getting the Consent to Establish. Letter issued.
 Reply waited.

	Application for CTE to be submitted within one month and ETP to be set up within three months and submit the affidavit regarding change in bed number and also apply afresh for renewal of authorization.


	Letter Issued
	Issue final reminder to apply for Consent to Establish. Call on 29.01.2009
	Reminder issued
	Issue reminder. Call on 02.03.2009.

	Sl No.
	Name and Address of HCU
	Bed (No.)
	Dist. No.
	Authorization Application Date
	Consent Application Date
	 Status of the Case / Remarks 
	Decision Taken in the Meeting on 28.11.08
	Action Taken w.r.t. Meeting on 28.11.08
	Decision Taken in the Meeting on 29.12.08
	Action Taken w.r.t. Meeting on 29.12.08
	Decision Taken in the Meeting on 29.01.09



	14.
	Vallabhai Patel  Chest Institute, University of Delhi, PO-Box.No-2101, Delhi-7
	60
	N-007


	14-Dec-04
	10.09.07(operate) & 18.07.08(CTE)
	1. Authorization is valid up to 30-01-2010 (C/31). 

2. HCU has applied for consent to operate under Air Act on 10.09.07.& for Consent to Establish on 18.07.08. Noise Monitoring Report received, shows meeting the norms. 
3. As decided on 27.08.08

    CTE & CTO issued as decided by the Committee.
4.Reply dated 28.01.09 received giving point wise compliance of earlier conditions issued: Installation of solar water heating system will be done after renovation, Rain water harvesting is not possible as water table is high, Ordinary bulbs have been replaced with CFL, For ETP installation a detailed Project report has been prepared, Mercury based thermometers & B.P. Instruments are not used.  

	Reminder for compliance of five items as decided earlier.
	Letter Issued
	Call for personal hearing on 29.01.2009 at 3.50 PM.
	Letter issued
	The unit came for personal hearing today. It has taken action on some points and  will be taking   action on the remaining points in  due course. The unit shall submit proper reply on the five points. The unit will also file the copy of energy audit report. Call on 02.03.2009

	Sl No.
	Name and Address of HCU
	Bed (No.)
	Dist. No.
	Authorization Application Date
	Consent Application Date
	 Status of the Case / Remarks 
	Decision Taken in the Meeting on 28.11.08
	Action Taken w.r.t. Meeting on 28.11.08
	Decision Taken in the Meeting on 29.12.08
	Action Taken w.r.t. Meeting on 29.12.08
	Decision Taken in the Meeting on 29.01.09



	15.
	Dr. B.R. Sur Hemopathic College & Hospital, Nanakpura, Moti Bagh, New Delhi-22

	50
	SW-038


	22-Feb-05
	24.10.07 (operate) &

04.08.08 (CTE)

	1.Authorization is valid up to 30-10-2010(C/46).

2Applied for consent under Air Act on 24.10.07. Noise Monitoring Report for DG Sets submitted. Shows meeting the norms. 

3. Applied for Consent to Establish on 04.08.08

4. As per the decision taken in meeting on 13.06.08 a common letter to Pr. Secy(Health) with copy to Pr.Secy(PWD) from chairman,

5. DPCC was issued. 

6.As decided on  27.08.08

 CTE  & CTO issued as decided by the Committee.
7. Reply dated 07.01.09 received informing that five point directions of DPCC have been forwarded to PWD for necessary action.


	Reminder for compliance of five items as decided earlier.
	Letter Issued
	Call for personal hearing on 29.01.2009 at 4.00 PM.
	Letter issued
	The unit came for personal hearing today. The unit will file reply on all the five points by 02.03.2009. Call on 02.03.2009

	Sl No.
	Name and Address of HCU
	Bed (No.)
	Dist. No.
	Authorization Application Date
	Consent Application Date
	 Status of the Case / Remarks 
	Decision Taken in the Meeting on 28.11.08
	Action Taken w.r.t. Meeting on 28.11.08
	Decision Taken in the Meeting on 29.12.08
	Action Taken w.r.t. Meeting on 29.12.08
	Decision Taken in the Meeting on 29.01.09



	16.


	Rajan babu Hospital,  GTB Nagar, Kingsway Camp,Delhi-9 
	1155
	NW-001


	02.Aug-05(3 Years expired)
	13-Nov-07    CTE not applied
	1. SCN under Rules 7 of BMW Rules was issued on 21-2-2007(C/142) and 11-6-2007(C/142). Reply received informed regarding corrective measure taken w.r.t BMW management. 

3. As decided on 1-8-2007, D.O. letter was issued on 17-8-2007 & 01.10.07 to Addl. Commissioner, MCD./ Commissioner MCD..4.Letters/Several representations received requesting permission to operate the Incinerator for trial testing since Hospital has installed APCD after issuance of Directions u/s 5 of EP Act (issued on 17.04.06 (c/112). 5.Application received for consent to operate  however, noise monitoring report for DG Sets not submitted.6. As decided in the meeting on 18.03.08 letter for deficiencies was issued  including seeking application for Consent to Establish under Air & Water Acts7.. As per the general decision taken on 06.05.08, letter issued  on 26.05 .08 for installation of:

(a) Solar water heating system(b) Rain water harvesting system(c) Replacement of ordinary Bulbs with CFL(d)  ETP (e) Plantation of trees along side of the periphery of the Hospital building.

8.EE(BMW)   had talked to the official (s)of the hospital .

10.Reply received dated 12-06-08.w.r.t letter dated 26-05-08.informing about doing the needful as directed .

11. An inspection of the Hospital was conducted on  24.07.08 & deficiencies were observed . Incinerator was not in operation. . Hospital is having 2 No 320 KVA DG Sets Without Acoustic Enclosure / acoustic treatment of the room.12.As decided on 27.08.08 notice was issued to HCU to apply for CTE and correct all the deficiencies noted during the inspection. 

13. As per the minutes of the meeting held on 03.11.08, received from  HCU site for ETP is being decided &  possibilities in constructing a common ETP for both this Hospital & MVID Hospital  is to be explored since both the hospitals lies adjacent to each other and both requiresETP.

14.Reply received dated 15.12.08 informed regarding rectification measures taken w.r.t. earlier letters issued. Requested for permission to operate the incinerator.
	Dr. Chetna to speak to MS of the Hospital & expedite.


	Dr. Chetna spoken
	Unit may be allowed to operate the incinerator for 30 days during which monitoring may be done and appropriate order will be passed ther after. Call on 29.01.2009.
	Letter issued.
	Call on 02.03.2009

	Sl No.
	Name and Address of HCU
	Bed (No.)
	Dist. No.
	Authorization Application Date
	Consent Application Date
	 Status of the Case / Remarks 
	Decision Taken in the Meeting on 28.11.08
	Action Taken w.r.t. Meeting on 28.11.08
	Decision Taken in the Meeting on 29.12.08
	Action Taken w.r.t. Meeting on 29.12.08
	Decision Taken in the Meeting on 29.01.09



	17.
	E.S.I Hospital, Jhilmil, Delhi-110095

	250
	E-001


	03.07.07
	14-Mar-08
	1. Authorization is valid up to 7-3-2010 (C/132).

2.. Applied for consent under the Air Act on 14.03.08 along with Noise Monitoring report of both DG sets of 312.5 and 180 KVA.  As per the report the insertion loss meeting the prescribed norms. Stack monitoring report of the boiler not submitted.

3. . As decided in the meeting on 18.03.08 letter for deficiencies was issued  including seeking application for Consent to Establish under Air & Water Acts
4.Letter dated 10-06-08 requesting for no objection certificate for installation of x- ray unit at hospital received.
5.As per the general decision taken on 06.05.08, letter issued  on 26.05 for installation of:

(a) Solar water heating system 
(b) Rain water harvesting system 
(c) Replacement of ordinary Bulbs with CFL
(d) ETP 
(e) Plantation of trees along side of the periphery of the Hospital building. 
6.Letter dated 04.06.08  & 10.06.08 have been received wherein HCU has requested for issuance of NOC of X-Ray Unit.

7.EE(BMW)  had  talked to the official (s) of the hospital .
8. As decided on 27.08.08

, Dr. Joshi to talked to MS of the hospital.

	Dr. Chetna to speak to MS of the Hospital & expedite.


	Dr. Chetna spoken
	Call for personal hearing on 29.01.2009 at 4.10 PM.
	Letter issued.
	The unit came for personal hearing today. It will file reply on all the five points by 02.03.2009. Call on 02.03.2009.

	Sl No.
	Name and Address of HCU
	Bed (No.)
	Dist. No.
	Authorization Application Date
	Consent Application Date
	 Status of the Case / Remarks 
	Decision Taken in the Meeting on 28.11.08
	Action Taken w.r.t. Meeting on 28.11.08
	Decision Taken in the Meeting on 29.12.08
	Action Taken w.r.t. Meeting on 29.12.08
	Decision Taken in the Meeting on 29.01.09



	18.
	G.L. Maternity Hospital (MCD) , Ajmeri gate, Kamla Market, Delhi-6


	97
	N-006


	24-Apr-07
	17.06.08 (CTO) & 17.06.08( CTE)
	1. Authorization is valid up to 30-5-2010(C/82).2.Applied for Consent to Establish & Consent to Operate on 17.06.08. 3. Paid balance fee of Rs. 17800 ,  asked earlier. 4. Inspected on 21.08.08 & deficiencies observed  w.r.t compliance of BMW Rules ( storage containers were not containing proper colour plastin bags  & were without labeling of Bio- hazard symbol. Isolated storage facility not provided for BMW. Incinerable BMW is sent to the incinerator of MVID Hospital which is also of MCD. For other plastic infected BMW ( Autoclavable waste) proper waste treatment /disposal  facility not found. Stack height with the DG Set  found inadequate.however DG Set is having acoustic enclosure.

5. Decision taken on 27.08.08

 CTE granted. However, notice may be issued for correction the deficiencies noted during the inspection. CTE issued and Notice issued
6. w.r.t Notice dated 22.10.08, vide letter dated 07.11.08, informed regarding corrective measures taken and also asked a month ‘s time for all the required task like SWHS, RWHS, CFL,Plantation Etc.

7.Reply dated 14.01.09 received w.r.t letter dated 22.12.08, informing the action taken by the hospital w.r.t the deficiencies observed earlier & directions given by DPCC


	Reminder for compliance. Call on 29.12.08
	Reminder Issued
	Issue final reminder. Call on 29.01.2009
	Reminder issued
	Issue final reminder. Call on 02.03.2009

	Sl No.
	Name and Address of HCU
	Bed (No.)
	Dist. No.
	Authorization Application Date
	Consent Application Date
	 Status of the Case / Remarks 
	Decision Taken in the Meeting on 28.11.08
	Action Taken w.r.t. Meeting on 28.11.08
	Decision Taken in the Meeting on 29.12.08
	Action Taken w.r.t. Meeting on 29.12.08
	Decision Taken in the Meeting on 29.01.09



	19.
	M.V.I.D Hospital (MCD),  Kingsway Camp, Delhi-9


	227
	NW-004


	22-Dec-04

&  09.06.08


	20-Apr-07(CTO)& 26.06.08(CTE)
	1.Applied under Air Act on 20-4-2007 (C/115).  2. D.O. letter was issued on 17-8-2007 & 01.10.07 to Addl. Commissioner, MCD./ Commissioner MCD., seeking for appropriate action w.r.t. deficiencies pointed  (c/126). 3.As decided in the meeting on 18.03.08 letter for deficiencies was issued  including seeking application for CTE under Air & Water Acts 4.Applied for renewal of authorization on 09.06.2008.5.Reply dated 01-07-08.w.r.t letter dated 25-04-08.regareding submission of test report of waste water generated from hospital  was received.6. As per the general decision taken on 06.05.08, letter issued on 26.05.08  for installation of: (a) Solar water heating system (b) Rain water harvesting system(c) Replacement of ordinary Bulbs with CFL (d)  ETP  (e) Plantation of trees along side of the periphery of the Hospital building. 7.Applied for renewal of authorization on 09.06.2008. 8. EE(BMW)  had talked to the official (s)of the hospital .9. Reply received w.r.t letter dated 26.05.08. 10. Inspection was conducted on 24.07.08 & deficiencies were observed w.r.t the Incinerator & APCD Installed. 10.Pointwise reply dated 15.10.08, regarding correction of deficiencies observed during ifnspection on 24.07.08 received informing :(a) Bio-hazard symbols have been provided. Separate storage room for BMW provided.(b)E.T.P. installation will be carried out by the Engg.Deptt.

11. As decided  on 27.08.08 CTE  was issued and notice was also  issued for correction the deficiencies noted during the inspection. 
12. w.r.t letter dated 22.10.08, vide letter dated  06.11.08, HCU has installed SWHS (one unit at Laboratory)& rest is under progress. For rest of the issues concerned the matter has been taken up with the concerned  Deptt. New Elec. Installation are of CFL.Hospital is having thick foliage cover of greenery all around. New trees are being planted.


	Dr. Chetna to speak to MS of the Hospital & expedite.


	Dr. Chetna spoken
	Ask the unit to submit interim report. Call on 29.01.2009.
	Letter issued


	Call on 02.03.2009.

	Sl No.
	Name and Address of HCU
	Bed (No.)
	Dist. No.
	Authorization Application Date
	Consent Application Date
	 Status of the Case / Remarks 
	Decision Taken in the Meeting on 28.11.08
	Action Taken w.r.t. Meeting on 28.11.08
	Decision Taken in the Meeting on 29.12.08
	Action Taken w.r.t. Meeting on 29.12.08
	Decision Taken in the Meeting on 29.01.09



	20.


	Lal Bahadur Shastri Hospital, Khichripur
	100


	E-002


	8-Aug-06
	 28-Dec-07 & CTE on 20.01.09
	1. Authorization is valid up to 30-5-2010((C/197).

2. HCU submitted a letter on 18-7-2007(C/220) wherein they have requested to know about the justification of balance fee in respect to authorization issued on 20-6-2007(C/197). 

3. HCU was inspected and BMW management found as per rule.(C /  221).4. Reply received along with copy of letters to PWD for comments/consent applications.4. EE (BMW) talked to the official of the hospital as decided on 15.11.07 .5. Application received for consent to operate however, noise monitoring report for DG Sets and stack monitoring report for boiler not submitted. 6.As decided in the meeting on 18.03.08 letter for deficiencies was issued  on 25.04.08  including seeking application for Consent to Establish under Air & Water Acts7.Reply received  dated. 24-06-08.w.r.t latter dated 25-04-08.  8.As per the general decision taken on 06.05.08, letter issued on 26.05.08  for installation of:(a) Solar water heating system

 (b) Rain water harvesting system

 (c) Replacement of ordinary Bulbs with CFL 

(d)  ETP (e) Plantation of trees along side of the periphery of the Hospital building.10.EE(BMW) had  talked to the official (s) of the hospital .11. Reply received vide letter dated 07.08.08 stating that applied for CTE however CTE application not received so far. Also informed that NMR for DG Sets, Stack Monitoring report for incinerator ( VOC parameter not monitored) &  Waste Water monitoring report submitted ( Bio-assay parameter not meeting the standards)

12. As per the decision taken in meeting on 13.06.08 a common letter to Pr. Secy(Health) with copy to Pr.Secy(PWD)  was issued. 

13. Decision taken on 27.08.08

Reminder letter be sent administratively to new Pr. Secy (Health) for getting the Consent to Establish. Letter was issued. 
14. Letter dated 22.10.08, received referring earlier letter dated dated 07.08.08 but CTE Not submitted. 


	Dr. Chetna to speak to MS of the Hospital & expedite.


	Dr. Chetna spoken
	Unit may be asked to apply for Consent to Establish for the proposed new building and also comply with the directions issued earlier.  Also ask the unit to submit interim report by 29.01.2009. Call on 29.01.2009.
	Letter issued
	Issue  reminder. Call on 02.03.2009

	Sl No.
	Name and Address of HCU
	Bed (No.)
	Dist. No.
	Authorization Application Date
	Consent Application Date
	 Status of the Case / Remarks 
	Decision Taken in the Meeting on 28.11.08
	Action Taken w.r.t. Meeting on 28.11.08
	Decision Taken in the Meeting on 29.12.08
	Action Taken w.r.t. Meeting on 29.12.08
	Decision Taken in the Meeting on 29.01.09



	21.
	A&UTibbia College Hospital, Karol Bagh, New Delhi-5
	150
	C-007


	22-Sep-06
	28-Sep-06 (CTO) & 18.11.08(CTE)
	1. Authorization is valid up to 30-5-2010.

2. HCU was inspected on 23-8-2007(C/110) and the BMW management found as per rule.

3. The stack height with the DG set is yet to be increased.

6. Meeting taken by Pr. Secy. (Health) on 25.09.07, HCU was directed ( in the meeting) to comply with norms/standards prescribed for DG Sets and submit compliance report along with the Noise Monitoring report to DPCC. However noise monitoring report not received.

4. As decided in the meeting on 18.03.08 letter for deficiencies was issued  including seeking application for Consent to Establish under Air & Water Acts
5..As per the general decision taken on 06.05.08, letter issued for installation of:

(a) Solar water heating system 
(b) Rain water harvesting system 
(c) Replacement of ordinary Bulbs with CFL 
(d)  ETP 
(e) Plantation of trees along side of the periphery of the Hospital building. 

6.EE(BMW)   had talked to the official (s) of the hospital .
7. As per the decision taken in meeting on 13.06.08 a common letter to Pr. Secy(Health) with copy to Pr.Secy(PWD) from chairman, DPCC was issued.

8. Decision taken on 27.08.08

Reminder letter be sent administratively to new Pr. Secy (Health) for getting the Consent to Establish. Letter was issued. Applied for CTE on 18.11.08
	Dr. Joshi’s team to inspect and report. 
	Inspected
	Deficiencies noted during the inspection may be communicated to the unit for correction latest by 29.01.2009, failing which authorization will be cancelled. Call on 29.01.2009.

	Letter issued
	Call on 02.03.2009

	Sl No.
	Name and Address of HCU
	Bed (No.)
	Dist. No.
	Authorization Application Date
	Consent Application Date
	 Status of the Case / Remarks 
	Decision Taken in the Meeting on 28.11.08
	Action Taken w.r.t. Meeting on 28.11.08
	Decision Taken in the Meeting on 29.12.08
	Action Taken w.r.t. Meeting on 29.12.08
	Decision Taken in the Meeting on 29.01.09



	22.
	Dr. Baba Saheb Ambedkar Hospit Sector-6, Rohini
, New Delhi-85 


	500
	NW-002


	 02.08.07


	13-Aug-07(CTO)   Applied for CTE on 07 .01.09.


	1. SCN under EPA was issued on 23-3-2007(C/68) & 11-6-2007(C/70) .

2.As decided on 1-8-2007, D.O. letter was issued on 17-8-2007 to Pr Secy  (Health).3. Meeting taken by Pr. Secy. (Health) on 25.09.07, HCU was directed ( in the meeting) to inform DPCC about the rectification measures. 

4.As decided in the meeting on 18.03.08 letter for deficiencies was issued  on  21.04.08  including seeking application for Consent to Establish under Air & Water Acts
5..Reply dated 02.06.08 w.r.t. letter dated 21.4.2008 received regarding  rectification of deficiencies  observed  during inspection  

6.. As per the general decision taken on 06.05.08, letter issued  on 26.05.08 for installation of:

(a) Solar water heating system 
(b) Rain water harvesting system 
(c) Replacement of ordinary Bulbs with CFL 
(d) ETP 
(e) Plantation of trees along side of the periphery of the Hospital building.
7 Inspection of the hospital was conducted on 20.08.08  & deficiencies were observed . Near the BMW Storage  solid waste found spilled on ground & the condition was pathetic. Proper segregation of BMW not observed. Bio – hazard Symbol not provided over the Containers & on the storage site. Proper  records keeping for BMW not observed.8. As per the decision taken in meeting on 13.06.08 a common letter to Pr. Secy(Health) with copy to Pr.Secy(PWD)  was issued. 9. As decided on 27.08.08  notice was issued for corrections of deficiencies noted by inspection team and also the HCU was asked to apply for CTE. 
	Dr. Chetna to speak to MS of the Hospital & expedite.


	Dr. Chetna spoken
	Ask the unit to submit interim report . Call on 29.01.2009.
	Letter issued


	Issue reminder. Call on 02.03.2009

	Sl No.
	Name and Address of HCU
	Bed (No.)
	Dist. No.
	Authorization Application Date
	Consent Application Date
	 Status of the Case / Remarks 
	Decision Taken in the Meeting on 28.11.08
	Action Taken w.r.t. Meeting on 28.11.08
	Decision Taken in the Meeting on 29.12.08
	Action Taken w.r.t. Meeting on 29.12.08
	Decision Taken in the Meeting on 29.01.09



	23.
	LRS Institute of Tuberculosis,  Sri Aurbindo Marg New Delhi-30
	515
	S-004


	17-Jul-06
	06-Aug-07 (CTO) & CTE on 27.10.08
	1. Authorization is valid up to 7-3-2010(C/248). ( with condition that HCU shall close down the incinerator).

2. SCN u/s 21/22 of Air Act was issued on 23-3-7(C/239) and 11-6-207(C/253).

3. DO letter issued to JS (Health), GOI. On 01.10.07 seeking replies of the notices issued on 23.03.07 & 11.06.07. 

4. HCU applied for consent to operate under Air Act on 6-8-2007(C261) alongwith the noise monitoring report(C/255).

5.. HCU has also requested to operate the incinerator(C/252) as APCD has been installed.

6. ETP not installed. HCU Is having 520. Beds.

7. Letter was issued for the trial run of the incinerator seeking stack monitoring report within 30 days and the hospital to install the ETP.

8. The hospital has submitted stack analysis report but the parameter of Volatile Organic Compound was not  analyzed for the ash generated from the incinerator. No information regarding ETP was submitted. No waste water analysis report was submitted.

9. As decided in the meeting on 18.03.08 letter for deficiencies was issued  including seeking application for Consent to Establish under Air & Water Acts
10. Reply received w.r.t. letter dated 02.05.2008. CTE not applied. Analysis report of incinerator ash  submitted however not within the limit.

11. As per the general decision taken on 06.05.08, letter issued for installation of:

(a) Solar water heating system  (b) Rain water harvesting system  (c) Replacement of ordinary Bulbs with CFL (d)  ETP (e) Plantation of trees along side of the periphery of the Hospital building.

12.E(BMW)  had  talked to the official (s) of the hospital .
13.Reply received dated 13-06-08 w.r.t letter dated 26-05-08 regarding doing the needful as directed . 
15.  As decided on 27.08.08, Dr. Joshi  spoken  to Director of the hospital. 

16. Inspection was conducted and deficiencies observed were communicated to the Hospital as decided by the Committee 
17. Reply dated 13.01.09 received w.r.t letter dated 22.12.08 informing that steps taken by the hospital for rectification of the deficiencies observed during the inspection.
	Ask the unit to correct the deficiencies noted during the inspection and submit compliance report on 29.12.08 
	Letter issued
	Issue final reminder for compliance. Call on 29.01.2009
	Reminder issued
	Call on 02.03.2009

	Sl No.
	Name and Address of HCU
	Bed (No.)
	Dist. No.
	Authorization Application Date
	Consent Application Date
	 Status of the Case / Remarks 
	Decision Taken in the Meeting on 28.11.08
	Action Taken w.r.t. Meeting on 28.11.08
	Decision Taken in the Meeting on 29.12.08
	Action Taken w.r.t. Meeting on 29.12.08
	Decision Taken in the Meeting on 29.01.09



	24.
	Kasturba Hospital, Near Jama Masjid, New Delhi-2
	450
	C-004


	3-Aug-06
	17-Jan-05 (CTO)

& 24.11.08(CTE)

	1. HCU has applied For Consent to Operate  under Air Act on 17-1-2005.

2. As decided in the meeting on 18.03.08 letter for deficiencies was issued  on 21.04.08 including seeking application for Consent to Establish under Air & Water Acts 

3. Reply received w.r.t. letter issued on 21.4.2008.    NMR submitted.
4..Reply dated  03-06-08. received. 

5. As per the general decision taken on 06.05.08, letter issued for installation of:

(a) Solar water heating system 
(b) Rain water harvesting system 
(c) Replacement of ordinary Bulbs with CFL 
(d)  ETP 
(e) Plantation of trees along side of the periphery of the Hospital building.

6. Another letter received on 14.07.08 w.r.t letter dated 26.05.08, informing that needful is being done.

7. As per the decision taken in meeting on 13.06.08 EE talked to officials of the hospital.

8. Decision taken on 27.08.08

 Chairman to write to Commissioner, MCD for CTE. 

Letter was  issued.

	Dr. Joshi’s team to inspect and report. 
	Inspected
	Deficiencies noted during the inspection may be communicated to the unit for correction. Call on 29.01.2009.
	Letter issued
	Issue reminder. Call on 02.03.2009

	Sl No.
	Name and Address of HCU
	Bed (No.)
	Dist. No.
	Authorization Application Date
	Consent Application Date
	 Status of the Case / Remarks 
	Decision Taken in the Meeting on 28.11.08
	Action Taken w.r.t. Meeting on 28.11.08
	Decision Taken in the Meeting on 29.12.08
	Action Taken w.r.t. Meeting on 29.12.08
	Decision Taken in the Meeting on 29.01.09



	25.
	Sardar Valabh Bhai Patel Hospital, East Patel Nagar, New Delhi-8
	50
	W-206


	7-Jul-06
	18-Dec-07(CTO) and CTE on 28.08.08

	1. As per direction HCU was inspected on 19-3-2007(C/31) but BMW Management not found as per rule.

2. Applied for Consent however Noise Monitoring report for DG Sets not submitted.

3 As decided in the meeting on 18.03.08 letter for deficiencies was issued  on 21.04.08 including seeking application for Consent to Establish under Air & Water Acts.
4. Reply dated 12-06-08. received w.r.t letter dated 21-04-08. requesting one month time to submit required information .
5. Letter recived dated 07.07.08.

6. EE(BMW)  had talked to the official (s) of the hospital . 7.Reply  received. Sent copy of the letter dated 01.08.08. addressed to PWD for the compliance of the directions given by DPCC.

8. As per the decision taken in meeting on 13.06.08 a common letter to Pr. Secy(Health) with copy to Pr.Secy(PWD) from chairman, DPCC was issued.

9. As decided  on 27.08.08 rminder letter  was  issued.

10. As decided on 30.10.08, letter issued  to submit compliance of deficiencies w.r.t documents etc regarding consent application  and  to submit waste water details and  CGWA clearance.

	Dr. Chetna to speak to MS of the Hospital & expedite.


	Dr. Chetna spoken
	Call for personal hearing on 29.01.2009 at 4.20 PM.
	Letter issued
	The unit came for personal hearing today. It assured that it will file a reply within a week. Call on 02.03.2009.

	Sl No.
	Name and Address of HCU
	Bed (No.)
	Dist. No.
	Authorization Application Date
	Consent Application Date
	 Status of the Case / Remarks 
	Decision Taken in the Meeting on 28.11.08
	Action Taken w.r.t. Meeting on 28.11.08
	Decision Taken in the Meeting on 29.12.08
	Action Taken w.r.t. Meeting on 29.12.08
	Decision Taken in the Meeting on 29.01.09



	26.
	Nehru Homeopathic Medical College, Defence Colony, New Delhi-24


	100
	S-013


	1-Dec-06
	5-Dec-06(Operate  valid upto 07.03.10)) Applied for CTE.
	1. Authorization is valid up to 07.03.2010

2. Consent to Operate is valid up to 07.03.2010.

3. Noise Monitoring Report for DG Set submitted for 125 KVA  DG.Set.

4. As decided in the meeting on 18.03.08 letter for deficiencies was issued  including seeking application for Consent to Establish under Air & Water Acts5. As per the general decision taken on 06.05.08, letter issued  on 26.05.08 for installation of:

(a) Solar water heating system (b) Rain water harvesting system(c) Replacement of ordinary Bulbs with CFL (d)  ETP (e) Plantation of trees along side of the periphery of the Hospital building.
6.Reply dated 12-06-08,w.r.t letter dated 26-05-08.received. Another letter DATED 29.07.08 received ( copy of letter addressed to Exe. Eng. PWD for compliance w.r.t. directions by DPCC. 

7. As per the decision taken in meeting on 13.06.08 a common letter to Pr. Secy(Health) with copy to Pr.Secy(PWD) from chairman, DPCC was issued.

8.Reply dated 1.10.08 received informing that Consent to Establish application will be submitted within 10 days.

9. Applied for CTE and as decided CTE issued to the HCU. 

	Reminder for Compliance of five points as decided earlier.
	Reminder Issued
	Call for personal hearing on 29.01.2009 at 4.30 PM.
	Letter issued
	The unit came for personal hearing today. The unit will submit reply on all the five points by 02.03.2009. Call on 02.03.2009.

	Sl No.
	Name and Address of HCU
	Bed (No.)
	Dist. No.
	Authorization Application Date
	Consent Application Date
	 Status of the Case / Remarks 
	Decision Taken in the Meeting on 28.11.08
	Action Taken w.r.t. Meeting on 28.11.08
	Decision Taken in the Meeting on 29.12.08
	Action Taken w.r.t. Meeting on 29.12.08
	Decision Taken in the Meeting on 29.01.09



	27.
	Satyawadi Raja  Harish Chander hospital, Plot No.30,Sector-7A, Narela, Delhi-40


	200
	NW-278


	13-Jun-07 
	 Not Applied
	1. HCU applied for authorization on 13-6-7(C/56).                             2.  HCU did not apply for consent to operate  under Air Act.

3. SCU under BMW Rules was issued on 11-6-2007(C/46).

4.. As decided on 1-8-2007, D.O. letter was  issued on 17-8-2007 to Pr Secy  (Health).

5. Meeting taken by Pr. Secy. (Health) on 25.09.07, it was decided that MS of the Hospital should submit Consent application within 15 days. 

6.. Talked to the official of the hospital as decided on 15.11.07.However Consent Application under Air Act not received.
7.. As decided in the meeting on 18.03.08 letter for deficiencies was issued  including seeking application for Consent to Establish under Air & Water Acts
8. As per the general decision taken on 06.05.08, letter issued on 26.05.08 for installation of 
(a) Solar water heating system 
(b) Rain water harvesting system 
(c) Replacement of ordinary Bulbs with CFL 
(d)  ETP 
(e) Plantation of trees along side of the periphery of the Hospital building.
9.Copy of Communication to EE(PWD) received w.r.t. letter dated 26.5.2008.

10.EE(BMW)had talked to the official (s) of the hospital .
11. As per the decision taken in meeting on 13.06.08 a common letter to Pr. Secy(Health) with copy to Pr.Secy(PWD)  was issued.

12.  As decided on  27.08.08 reminder letter was  issued.


	Dr. Chetna to speak to MS of the Hospital & expedite.


	Dr. Chetna spoken
	Issue final reminder to apply for Consent to Establish and submit interim report by 29.01.2009. Call on 29.01.2009
	Reminder issued
	Issue final reminder. Call on 02.03.2009

	Sl No.
	Name and Address of HCU
	Bed (No.)
	Dist. No.
	Authorization Application Date
	Consent Application Date
	 Status of the Case / Remarks 
	Decision Taken in the Meeting on 28.11.08
	Action Taken w.r.t. Meeting on 28.11.08
	Decision Taken in the Meeting on 29.12.08
	Action Taken w.r.t. Meeting on 29.12.08
	Decision Taken in the Meeting on 29.01.09



	28.
	Jag Pravesh Chand Hospital (Shastri Park Hospital),Govt. of NCT of Delhi, Shastri Park,Delhi-53
	200
	NE-104


	 25-Oct-06
	 20.11.07(Operate)
	1. Authorization is valid up to 7-3-2010 (C/29).

2. SCN under Air Act was issued on 23-3-2007(C/28) and 11-6-2007(C/33).3. As decided on 1-8-2007, D.O. letter was issued on 17-8-2007 to Pr Secy (Health).

4.As decided in the meeting on 18.03.08 letter for deficiencies was issued  including seeking application for Consent to Establish under Air & Water Acts 5..As per the general decision taken on 06.05.08, letter issued  on 26.05.08 for installation of:

(a) Solar water heating system (b) Rain water harvesting system 

(c) Replacement of ordinary Bulbs with CFL (d)  ETP 

(e) Plantation of trees along side of the periphery of the Hospital building

.6..EE(BMW)  had  talked to the official (s) of the hospital .

7. As per the decision taken in meeting on 13.06.08 a common letter to Pr. Secy(Health) with copy to Pr.Secy(PWD) from chairman, DPCC was issued. Letter dated 24.10.08 received from the hospital.

8. Decision taken on 27.08.08

 Reminder letter be issued. Letter issued.
9. Letter Dated 10.11.08, received informing that HCU is making arrangements to process the proposal for (i) RWHS (ii) CFL (iii) & for this PWD has been requested. SWHS is not being installed since the HCU  has already installed Boiler .
	Dr. Chetna to speak to MS of the Hospital & expedite.


	Dr. Chetna spoken
	Ask the unit to submit interim report and Dr. Chetna to speak. Call on 29.01.2009.
	Letter issued. Dr. Chetna spoken


	Dr. Chetna to speak. Call on 02.03.2009

	29.
	Northern Railway Divisional Hospital, S.P. Mukherjee Marg, Delhi-6
	50
	C-010


	 20-Aug-04
	 21-Nov-07(operate)

& 21.07.08(CTE) 
	1. Authorization is valid up to 7-3-2010(C/56).

2.Deficiencies observed during inspection are:- (i)Log book of BMW not maintained.(ii)Agreement with CBMWT expired and currently waste found stored in storage area is there for quite some time.(iii)Sharp waste management not proper.

3. As decided on 27.08.08  CTE was  issued and Committee inspected HCU on 17.09.08

5. As decided on 29.09.08, letter was issued for correction of deficiencies observed on 17.09.08. Reply received  vide letter dated 10.11.08 & informed that corrective measures taken.


	CTO granted. 
	CTO Issued
	No action.
	      -----
	No action.

	Sl No.
	Name and Address of HCU
	Bed (No.)
	Dist. No.
	Authorization Application Date
	Consent Application Date
	 Status of the Case / Remarks 
	Decision Taken in the Meeting on 28.11.08
	Action Taken w.r.t. Meeting on 28.11.08
	Decision Taken in the Meeting on 29.12.08
	Action Taken w.r.t. Meeting on 29.12.08
	Decision Taken in the Meeting on 29.01.09



	30.
	Ayurvedic Hospital, MCD, Haiderpur, Delhi-52
	100
	NW-008


	 14.11.07
	CTE on 27.10.08 & CTO on 27.10.08
	1. SCN under Air Act (C/84) was issued on 11-6-7 and BMW Rules (C/82 & C/85) was issued on 23-3-07 and 11-6-2007.

2..As decided on 1-8-2007, D.O. letter was issued on 17-8-2007 & 01.10.07 to Addl. Commissioner, MCD./ Commissioner MCD., seeking consent and authorization application,. Applied for authorization on 14.11.07,  

3. EE (BMW) talked to the official of the hospital as decided on 15.11.07. 

4.Vide letter dated 18.12.07 informed regarding having DG Set of 75 KVA which is not working since 2005 and in future it will function under the Air Act. 5.. However Consent Application under Air Act not received so far.

5 As decided in the meeting on 18.03.08 letter for deficiencies was issued  including seeking application for Consent to Establish under Air & Water Acts
6 As per the general decision taken on 06.05.08, letter issued on 26.05.08  for installation of:

(a) Solar water heating system 

(b) Rain water harvesting system 

(c) Replacement of ordinary Bulbs with CFL 

(d)  ETP 

(e) Plantation of trees along side of the periphery of the Hospital building.

7. EE(BMW)   had talked to the official (s) of the hospital .
8.Note received from RMS stating that necessary proceedings have been initiated and Engineering department has been apprised about the directions of DPCC. Claims that there is no BMW generation in the hospital being a Ayurvedic Hospital. 

9. As decided  on 27.08.08 letter was sent from Chairman to  Commissioner, MCD for CTE.
10. Applied for CTE  & as decided by Committee on  30.10.08, CTE issued. 


	Reminder for Compliance of five points as decided earlier.
	Reminder Issued
	Ask the unit to submit interim report . Call on 29.01.2009.
	Letter issued
	Issue reminder. Call on 02.03.2009

	Sl No.
	Name and Address of HCU
	Bed (No.)
	Dist. No.
	Authorization Application Date
	Consent Application Date
	 Status of the Case / Remarks 
	Decision Taken in the Meeting on 28.11.08
	Action Taken w.r.t. Meeting on 28.11.08
	Decision Taken in the Meeting on 29.12.08
	Action Taken w.r.t. Meeting on 29.12.08
	Decision Taken in the Meeting on 29.01.09



	31.
	Babu Jagjeevan Ram Memorial Hospital, Jahangirpuri, Delhi-33
	100
	NW-009


	 29-Jun-06
	27.09.07(operate) & 06.08.08(CTE)
	1. Authorization is valid up to 7-3-2010(C/112).

2. Applied for Consent.. Stack Monitoring report for    DG Set submitted, shows emissions within limit.    Noise monitoring  report for DG set(125 KVA)  not    submitted.

3.As decided in the meeting on 18.03.08 letter for deficiencies was issued  including seeking application for Consent to Establish under Air & Water Acts
4. As per the general decision taken on 06.05.08, letter issued on 26.05.08  for installation of:

(a) Solar water heating system 
(b) Rain water harvesting system 
(c) Replacement of ordinary Bulbs with CFL 
(d)  ETP 
(e) Plantation of trees along side of the periphery of the Hospital building.

5.EE(BMW)  talked to the official (s) of the hospital
6. Reply Received.

7. As per the decision taken in meeting on 13.06.08 a common letter to Pr. Secy(Health) with copy to Pr.Secy(PWD) from chairman, DPCC was issued.

8. As decided  on 27.08.08 CTE  issued with conditions. Committee to inspect.

9. Letter for  CGWA clearance was issued as decided on 30.10.08.

	Dr. Chetna to speak to MS of the Hospital & expedite.


	Dr. Chetna spoken
	Issue final reminder for compliance of all the earlier directions issued to the unit. Call on 29.01.2009.
	Reminder issued
	Issue reminder. Call on 02.03.2009

	Sl No.
	Name and Address of HCU
	Bed (No.)
	Dist. No.
	Authorization Application Date
	Consent Application Date
	 Status of the Case / Remarks 
	Decision Taken in the Meeting on 28.11.08
	Action Taken w.r.t. Meeting on 28.11.08
	Decision Taken in the Meeting on 29.12.08
	Action Taken w.r.t. Meeting on 29.12.08
	Decision Taken in the Meeting on 29.01.09



	32.


	Majeedia Hospital, Jamia Hamdard, IHMMR Campus, Hamdard Nagar, New Delhi-110 062


	136
	S-009


	 23-Feb-07
	08.10.07(operte)
Applied for CTE on 16.12.08
	1. Authorization under BMW Rules is  valid upto 7-3-2010(C/180).

2. HCU submitted the reply in response to SCN under Air Act(C/195) with the remarks that there is no DG set being operated by the hospital, however they get the electricity in case of no power from DG set being operated by Hamdard University. 

3..As decided on 1-8-2007, D.O. letter was issued on 17.08.07 toJt.Secy(Health), GOI. Seeking consent application.

4..As decided in the meeting on 18.03.08 letter for deficiencies was issued on 29.04.08  including seeking application for Consent to Establish under Air & Water Acts

5..Reply dated 22-05-08.w.r.t letter dated 29-04-08. received. 

6. As per the general decision taken on 06.05.08, letter issued on 26.05.08  for installation of:(a) Solar water heating system 

(b) Rain water harvesting system (c) Replacement of ordinary Bulbs with CFL (d)  ETP (e) Plantation of trees along side of the periphery of the Hospital building.  

7.EE(BMW) had talked to the official (s)of the hospital.

8. As per the decision taken in meeting on 13.06.08 letter was issued from MS,DPCC

9.. Letter dated 23.10.08 received on 27.10.08. 

10. As decided  on 27.08.08 Dr. Joshi  talked to MS of the hospital..

11. Vide letter dated 23.10.08, informed that (i) SWHS – under process.(ii) RWHS –  Already Installed .Awarded by Govt of Delhi..(iii) CFL – Already Executed.(iv) ETP – under process. (v)Already under taken.

12.Letter issued for installation of ETP and also for applying for CTE as decided on 30.10.08.Applied for CTE on 16.12.08.


	Call for personal hearing on 29.12.2008 at 4.10 PM. 
	Letter Issued
	The unit came for personal hearing today. They have informed that they are expanding their hospital by another 200 beds for creating medical college. They are not aware about the total built up area. Dr. T. K Joshi’s Committee may inspect and submit the report. Call on 29.01.2009.
	Letter issued
	Issue reminder. Call on 02.03.2009

	Sl No.
	Name and Address of HCU
	Bed (No.)
	Dist. No.
	Authorization Application Date
	Consent Application Date
	 Status of the Case / Remarks 
	Decision Taken in the Meeting on 28.11.08
	Action Taken w.r.t. Meeting on 28.11.08
	Decision Taken in the Meeting on 29.12.08
	Action Taken w.r.t. Meeting on 29.12.08
	Decision Taken in the Meeting on 29.01.09



	33.
	Jai Prakash Narayan ApexTrauma Centre, Ansari Nagar, Raj Nagar, New Delhi-29


	200
	SW-131


	 7-Sep-06
	 27.09.07(CTO)& Applied for CTE.
	1. HCU was inspected on 19-3-2007(C/50) and BMW Management found as per rule, but ETP was not in operation.

2. HCU had not submitted waste water test report 

3. Applied for Consent to Operate on 27.09.07. Noise monitoring report for DG set received from DPCC lab.

4..As decided in the meeting on 18.03.08 letter for deficiencies was issued  including seeking application for Consent to Establish under Air & Water Acts
5. Reply  received.
6. As per the general decision taken on 06.05.08, letter issued  on 26.05.08 for installation of:

(a) Solar water heating system 
(b) Rain water harvesting system 
(c) Replacement of ordinary Bulbs with CFL 
(d)  ETP 
(e) Plantation of trees along side of the periphery of the Hospital building.
7. As per the decision taken in meeting on 13.06.08 a common letter to Jt. Secy(Health) with copy to D.G.(CPWD) from chairman, DPCC was issued.

8. As decided on 27.08.08

 Dr. Joshi  talked to MS of the Hospital.

	Dr. Chetna to speak to MS of the Hospital & expedite.


	Dr. Chetna spoken
	Ask the unit to submit interim report . Call on 29.01.2009.
	Letter issued
	Issue reminder. Call on 02.03.2009

	Sl No.
	Name and Address of HCU
	Bed (No.)
	Dist. No.
	Authorization Application Date
	Consent Application Date
	 Status of the Case / Remarks 
	Decision Taken in the Meeting on 28.11.08
	Action Taken w.r.t. Meeting on 28.11.08
	Decision Taken in the Meeting on 29.12.08
	Action Taken w.r.t. Meeting on 29.12.08
	Decision Taken in the Meeting on 29.01.09



	34.
	Hedgewar  Arogya Sansthan, Opposite CPCB, Karkardooma, east Arjun Nagar, Delhi-32
	200
	E-158


	 14-3-07
	19.12.07(operate) & 20.08.08(CTE)
	1. Authorization is valid up to 30-5-2010 (C/67).

2. As decided on 1-8-2007, D.O. letter was issued on 17-8-2007 to Pr Secy  (Health).
3.Application for consent to operate received along with affidavit. The application reveals having two boilers (HSD fired) and two DG sets of 62.5 KVA,( without acoustic enclosure).Stack monitoring report  not  submitted. 

4.As decided in the meeting on 18.03.08, letter for deficiencies was issued on 21.04.08. Reply  was received.

5.Reply dated 09-06-08 received w.r.t letter dated 21-04-08.regarding doing the needful as directed.

6. As per the general decision taken on 06.05.08, letter issued for installation of:

(a) Solar water heating system 

(b) Rain water harvesting system 

(c) Replacement of ordinary Bulbs with CFL 

(d)  ETP 

(e) Plantation of trees along side of the periphery of the Hospital building.

7Reply received w.r.t. letter dated 21.4.2008.

8..As per the decision taken in meeting on 13.06.08 a common letter to Pr. Secy(Health) with copy to Pr.Secy(PWD)  was issued.

9. as per the decision taken on 27.08.08 CTE  was issued subject to the condition that effluent status, noise monitoring report and CGWA clearance will be filed within 01 month. 
10. w.r.t letter dated 22.10.08,   Vide letter dated 14.11.08, HCU has informed that despite several correspondence with PWD, the work related to ETP & Acoustic Enclosure  for DG Sets is still pending.  


	Dr. Chetna to speak to both PWD and Health Deptt.  and expedite.
	Dr. Chetna spoken
	Ask the unit to submit interim report . Call on 29.01.2009.
	Letter issued
	Issue reminder. Call on 02.03.2009

	Sl No.
	Name and Address of HCU
	Bed (No.)
	Dist. No.
	Authorization Application Date
	Consent Application Date
	 Status of the Case / Remarks 
	Decision Taken in the Meeting on 28.11.08
	Action Taken w.r.t. Meeting on 28.11.08
	Decision Taken in the Meeting on 29.12.08
	Action Taken w.r.t. Meeting on 29.12.08
	Decision Taken in the Meeting on 29.01.09



	35.
	Hindu Rao Hospital Delhi – 110 007l.


	980
	N-001


	5-Apr-06
	Not Applied for Renewal
	1. HCU was inspected on 20-3-2007(C/207) during which BMW management found satisfactory but incinerator was not in operation.

2. SCN under Air Act was issued on 11-6-2007(C/210) but HCU did not apply for consent under Air Act.3. HCU requested to extend the time limit for installation of ETP(C/211). 

4. As decided on 1-8-2007, D.O. letter was  issued on 17-8-2007 to Addl. Commissioner  (Health), MCD5. As decided on 1-8-2007, D.O. letter was issued on 17-8-2007 & 01.10.07 to Addl. Commissioner, MCD./ Commissioner MCD., seeking consent application under Air Act. 

6. Letter dated 08.10.07 received and informed that matter regarding ETP  is under process and will be finalized at the earliest.7. EE (BMW) talked to the official of the hospital as decided on 15.11.07.8. However Consent Application under Air Act not received so far.

9. ..As decided in the meeting on 18.03.08 letter for deficiencies was issued on 21.04.08  including seeking application for Consent to Establish under Air & Water Acts10. As per the general decision taken on 06.05.08, letter issued  on 26.05.08 for installation of:

(a) Solar water heating system (b) Rain water harvesting system (c) Replacement of ordinary Bulbs with CFL (d) ETP (e) Plantation of trees along side of the periphery of the Hospital building.11.EE(BMW)  talked to the official (s) of the     hospital 12.Reply dated 24-06-08. w.r.t latter  dated 21-04-08 and 26-05-08. received informed  doing the needful as directed.

11. As per the decision taken in meeting on 13.06.08 EE talked to officials of the hospital.

12. Letter dated 24.10.08 received.

13.As decided on 27.08.08 Dr. Joshi  talked to MS of the hospital.

14. Inspection of the Hospital  & monitoring of the incinerator  was conducted on 06.01.09 . Deficiencies observed. VOC & Temperature range for Primary & Secondary Chambers are not meeting the prescribed standards.
	Dr. Chetna to speak to MS of the Hospital & expedite.


	Dr. Chetna spoken
	Call for personal hearing on 29.01.2009 at 4.40 PM.


	Letter issued
	Representative of unit came for personal hearing today. Issue 

D.O.Letter from MS,DPCC to MS of Hospital,for  rectificationof the deficiencies observed during the inspection and monitoring.Unitto submit fresh monitoring report for incinerator.Unit to file compliance report, with dates, on thefivepoints mentioned in our earlier letters.D.O.

Letter also to be issued from Chairman,DPCC to Commissioner ,MCD. Call

 on 02.03.2009.

	Sl No.
	Name and Address of HCU
	Bed (No.)
	Dist. No.
	Authorization Application Date
	Consent Application Date
	 Status of the Case / Remarks 
	Decision Taken in the Meeting on 28.11.08
	Action Taken w.r.t. Meeting on 28.11.08
	Decision Taken in the Meeting on 29.12.08
	Action Taken w.r.t. Meeting on 29.12.08
	Decision Taken in the Meeting on 29.01.09



	36.
	Rao Tula Ram Memorial Hospital, Jafferpur, Delhi
	100


	SW-003


	7-Nov-06
	Not Applied
	1. Authorization is valid up to 7-3-2010(C/164).
2. SCN u/s 21/22 of Air Act was issued on  01-5-2007(C/165) and on 11-06-2007(C/173)

3. Reply was received with the remark that APCD has been installed with incinerator and stack report is also submitted and the installation of ETP is under process with PWD(C/172) .   

4. Reply received to SCN u/s 21/22 with the remark that they have applied for consent under air act but the same  has not been received(C/168).

5. Inspection  was  conducted on 9-7-2007 and BMW Management found as per rule. ( i/r at page 174- 175) 

6. Incinerator was not in operation as the incinerable waste was not there.

8. Earlier spoken to Medical Superintendent of the Hospital, and it was informed that the Matter is under process and the application for consent under Air Act will be submitted very shortly.

9.  Meeting taken by Pr. Secy. (Health) on 25.09.07, it was decided that MS of the Hospital should submit Consent application within 15 days. Not Applied for Consent though submitted required fee for DG set monitoring.

10. EE (BMW) talked to the official of the hospital as decided on 15.11.07. 

11. However Consent Application under Air Act not received so far.

12. The hospital was inspected by a three member team headed by Dr. T.K.Joshi, on 27.02.08 and the records for incinerator revealed that incinerator was not operated during the period 19.11.07 to 03.12.07 and for the period 22.01.08 to 12.02.08 and the reasons could not be explained for the non-operation of the incinerator. It was also revealed from the records maintained that temperature in the secondary chamber of the incinerator is for below the prescribed temperature. 

13. .As decided in the meeting on 18.03.08 letter for deficiencies was issued on  19.05.08  including seeking application for Consent to Establish under Air & Water Acts
14.Reply dated 12.06.08 enclosing  Copy of communication to PWD regarding NMR, stack report and non operation of incinerator submitted.
15. As per the general decision taken on 06.05.08, letter issued  on 26.05.08 for installation of :

(a) Solar water heating system 
(b) Rain water harvesting system 
(c) Replacement of ordinary Bulbs with CFL 
(d)  ETP 
(e) Plantation of trees along side of the periphery of the Hospital building.
16.EE(BMW)  talked to the official (s) of the hospital 17. Reply received.
18. Decision taken on 27.08.08

Reminder letter be issued. Letter issued. As per letter to DHS by the HCU , it reveals that though installation of STP was taken up in the last year. PWD has submitted the Plan & estimate but due to lack of funds it could not be materialized. Presently Septic Tanks are used for disposal of Soil Waste and maintained by PWD.

19. Inspection of the Hospital was conducted on 05.01.09 . Deficiencies observed. Incinerator is not in operation since  13.09.08. Body of Venturi Scrubber found broken. Incinerable Bio-Medical Waste is  being  treated /disposed through Operator of Common Bio-Medical Waste Treatment Facility.

	Dr. Chetna to speak to MS of the Hospital & expedite.


	Dr. Chetna spoken
	Issue final reminder to apply for Consent to Establish. Call on 29.01.2009.
	Reminder issued
	Ask the Hospital ,  not to operate incinerator in view of broken scrubber and the facts that  outsourcing of the Incinerable Bio-Medical Waste is being done successfully through Operator of Common Bio-Medical Waste Treatment Facility. Unit 

to file compliance report, on 
the five points mentioned in our earlier letters Call on 02.03.2009.

	Sl No.
	Name and Address of HCU
	Bed (No.)
	Dist. No.
	Authorization Application Date
	Consent Application Date
	 Status of the Case / Remarks 
	Decision Taken in the Meeting on 28.11.08
	Action Taken w.r.t. Meeting on 28.11.08
	Decision Taken in the Meeting on 29.12.08
	Action Taken w.r.t. Meeting on 29.12.08
	Decision Taken in the Meeting on 29.01.09



	37.
	Chacha Nehru Bal Chikatsalya, Geeta Colony, Delhi-110 031
	216
	E-179


	1-May-07
	02.04.08(CTO) and CTE on 01.09.08
	1.Earlier  Authorization was valid upto 22-3-2007(C/13).

2. .As decided in the meeting on 18.03.08 letter for deficiencies was issued on 21.04.08  including seeking application for Consent to Establish under Air & Water Acts
3. As per the general decision taken on 06.05.08, letter issued on 26.05.08  for installation of:

(a) Solar water heating system 
(b) Rain water harvesting system  

(c) Replacement of ordinary Bulbs with CFL 
(d)  ETP 
(e) Plantation of trees along side of the periphery of the Hospital building.
4.EE(BMW) had  talked to the official (s) of the hospital. 
5..Reply dated 11-06-08. w.r.t latter  dated 21-04-08.and 26-05-8. received regarding doing the needful as directed 

6. As per the decision taken in meeting on 13.06.08 a common letter to Pr. Secy(Health) with copy to Pr.Secy(PWD) from chairman, DPCC was issued. 

7. Representation recived regarding grant of Authorization.

8. Decision taken on 27.08.08

 Reminder letter be issued and Dr. Joshi to speak to MS.. Letter issued. Dr. Joshi talked
9. CTE Issued. 

10.As decided on 30.10.08,  Authorization issued  subject to the condition that ETP will be installed within 3 months



	Reminder for Compliance of five points.

Dr. Chetna to speak to MS of the Hospital & expedite.


	Reminder Issued
	Consent to Operate granted and ask the unit to submit interim report. Call on 29.01.2009.
	CTO issued & Letter issued for interim report.


	Issue reminder. Call on 02.03.2009

	Sl No.
	Name and Address of HCU
	Bed (No.)
	Dist. No.
	Authorization Application Date
	Consent Application Date
	 Status of the Case / Remarks 
	Decision Taken in the Meeting on 28.11.08
	Action Taken w.r.t. Meeting on 28.11.08
	Decision Taken in the Meeting on 29.12.08
	Action Taken w.r.t. Meeting on 29.12.08
	Decision Taken in the Meeting on 29.01.09



	38.
	Guru Gobind Singh Govt. Hospital, Raghubir Nagar, New Delhi-110 027
	100
	W-006


	13-Mar-07
	19-Dec—07(Operate) & 03.07.08(CTE)

	1. Authorization was valid up to 16-4-2007(C/42).

2. .As decided in the meeting on 18.03.08 letter for deficiencies was issued on  21.04.08  including seeking application for Consent to Establish under Air & Water Acts 

3... Reply received w.r.t. letter dated 21.4.2008. 
4. As per the general decision taken on 06.05.08, letter issued  on  26.05.08 for installation of:

(a) Solar water heating system 
(b) Rain water harvesting system 
(c) Replacement of ordinary Bulbs with CFL 
(d)  ETP 
(e) Plantation of trees along side of the periphery of the Hospital building.

5. As per the decision taken in meeting on 13.06.08 a common letter to Pr. Secy(Health) with copy to Pr.Secy(PWD) from chairman, DPCC was issued.

6. A copy of the Letter sent to Ex. Engr. PWD received asking PWD  to expedite the installation of ETP and also to take CGWA clearance.

7.As decided on 27.08.08 CTE  was issued and  Unit was asked to expedite the installation of ETP and ground water clearance from CGWA within 01 month. 

8. w.r.t letter dated 23.12.08, HCU has informed that (i) SWHS – installed  (ii) RWHS – Requested to PWD(iii) CFL - completed (iv) ETP – Sanction issued. (v) Trees already planted.

	Reminder for Compliance five points.
	Reminder Issued
	Ask the unit to submit interim report and Dr. Chetna to speak. Call on 29.01.2009.
	Letter issued. Dr. Chetna spoken
	 Call on 02.03.2009

	Sl No.
	Name and Address of HCU
	Bed (No.)
	Dist. No.
	Authorization Application Date
	Consent Application Date
	 Status of the Case / Remarks 
	Decision Taken in the Meeting on 28.11.08
	Action Taken w.r.t. Meeting on 28.11.08
	Decision Taken in the Meeting on 29.12.08
	Action Taken w.r.t. Meeting on 29.12.08
	Decision Taken in the Meeting on 29.01.09



	39.
	Lady Harding Medical College and Associated Hospital, New Delhi


	1227
	ND-001


	9-May-07
	Applied for CTE ( 26.11.08). Applied for CTO.
	1. HCU applied for authorization on 9-3-2007(C/555).

2. Authorization was valid up to 16-5-2007(C/359).

3. HCU applied for Consent to Operate  under Air Act.

4. Letter issued on 28.12.07 asking Stack Monitoring report of      Boilers as well as incinerator & for providing acoustic treatment/      enclosure for the 2 DG Sets of 160  KVA each , noise monitoring      report for the DG Sets & also for installation of ETP. Reports/      Reply to the said letter  received.

5.  As decided in the meeting on 18.03.08, letter for deficiencies was issued on 25.04.08.. 

6. Reply received w.r.t. letter dated 25.4.2008.
7.As per the general decision taken on 06.05.08, letter issued on  26.05.08 for  installation of:

(a) Solar water heating system 
(b) Rain water harvesting system 
(c) Replacement of ordinary Bulbs with CFL 
(d)  ETP 
(e) Plantation of trees along side of the periphery of the Hospital building.

8.EE(BMW)   had talked to the official (s) of the hospital
9. As per the decision taken in meeting on 13.06.08 a common letter to Jt. Secy(Health) with copy to D.G.(CPWD) from chairman, DPCC was issued.

10.Reply dated 08.10.08 received regarding compliance of letter dated 26.05.08 informing: (i)Solar water heating systems were installed in the new building & 3 more are being installed.(ii)There are 17 Rain Water Harvesting pits in the institutional Area & 12 in residential area.(iii)Replacement of the ordinary bulbs with CFL is being carried out in phased manner.(iv)For ETP installation mentioned that 2 ETPs have to be installed for which necessary funds are not available & likely to be sanctioned in next financial year. Till then working only on the installation of 1 ETP and project estimate is enclosed, but no such enclosure found along with letter.(v)There are ample of trees present. 

Informed that Stack monitoring repots & Noise monitoring reports will be submitted as soon as they get it from NPC.

Informed that Energy Auditing has been carried out in 2007 & accordingly all the energy saving measures are being taken.

11Monthly report of Bio-Medical Waste Management submitted.

12. Decision taken on 27.08.08

Dr. Joshi to speak to MS/Principal and expedite. Dr. Joshi talked
13. Inspection of the Hospital  & monitoring of the incinerator  was conducted on 19.12.08 . Deficiencies observed. Particulate Matter,  VOC & Temperature range for Primary Chamber are not meeting the prescribed standards. Letter issued for the deficiencies observed as decided by the Committee.


	Dr. Joshi’s team to inspect and report. 
	Inspected
	Deficiencies noted during the inspection may be communicated to the unit for correction latest by 29.01.2009, failing which authorization will be cancelled. Call on 29.01.2009.

	Letter issued
	Issue reminder. Call on 02.03.2009

	Sl No.
	Name and Address of HCU
	Bed (No.)
	Dist. No.
	Authorization Application Date
	Consent Application Date
	 Status of the Case / Remarks 
	Decision Taken in the Meeting on 28.11.08
	Action Taken w.r.t. Meeting on 28.11.08
	Decision Taken in the Meeting on 29.12.08
	Action Taken w.r.t. Meeting on 29.12.08
	Decision Taken in the Meeting on 29.01.09



	40.
	Central Jail
 Hospital, Tihar
	150
	W-005


	4-Aug-06(valid)
	Not Applied
	1.Authorization is valid up to 1-7-2009(C/124)  was issued with the condition that HCU will apply for consent under Air Act within two months time. 2. Meeting taken by Pr. Secy. (Health) on 25.09.07, it was decided that MS of the Hospital should submit Consent application within 15 days. However Consent Application under Air Act not received so far. 

3. Talked to the official of the hospital as decided on 15.11.07. 

4. However Consent Application under Air Act not received so far.

5..As decided in the meeting on 18.03.08 letter for deficiencies was issued on  25.04.08  including seeking application for Consent to Establish under Air & Water Acts 
6. Reply received informing that the matter has been referred to PWD in respect to letters received from DPCC. List of Lab was sought which was  faxed to the hospital.

7. As per the general decision taken on 06.05.08, letter issued  on 26.05.08 for installation of :

(a) Solar water heating system 

(b) Rain water harvesting system 

(c) Replacement of ordinary Bulbs with CFL 

(d)  ETP 

(e) Plantation of trees along side of the periphery of the Hospital building.
8..Reply dated 27-05-08.w.r.t letter dated 25-04-08.& letters received on 08.07.08  w.r.t letter dated 26.05.08.mentioning that to communicate with Prison Head Quarters for the necessary action.
9.Reply Received  Copy of the letter  sent to Superintendent Engineer, PWD forwarded. 

10. As decided  on 27.08.08 reminder letter was issued. 

11.A letter dated 11.11.08, received from Exe Engineer (E) stating that for operation of DG Sets Consent is not required. The letter is for both the Jails Centre Jail Tihar & Jail at Rohini.


	Dr. Chetna to speak to MS of the Hospital & expedite.


	Dr. Chetna spoken
	Dr. T.K. Joshi’s Committee to inspect and report. Call on 29.01.2009
	To be inspected
	Inspection by Dr. Joshi’s team. Call on 02.03.2009

	Sl No.
	Name and Address of HCU
	Bed (No.)
	Dist. No.
	Authorization Application Date
	Consent Application Date
	 Status of the Case / Remarks 
	Decision Taken in the Meeting on 28.11.08
	Action Taken w.r.t. Meeting on 28.11.08
	Decision Taken in the Meeting on 29.12.08
	Action Taken w.r.t. Meeting on 29.12.08
	Decision Taken in the Meeting on 29.01.09



	41.
	ESI Hospital, Shree Maa Anandmayi Marg, Okhla phase-1, New Delhi- 110020
	150
	S-012


	22-Oct-07
	Not Applied
	1. Earlier Authorization was valid up to 2-11-2007(C/135). 

2. Applied for renewal of Authorization under BMW Rules on      22.10.07

3D.O. letter issued to Jt. Secy. (Labour) GOI with copy to DG ESI.     Reply received from JS.

4. Talked to the official of the hospital as decided on 15.11.07. 

5. However Consent Application under Air Act not received so far.

6. .As decided in the meeting on 18.03.08 letter for deficiencies was issued  including seeking application for Consent to Establish under Air & Water Acts 
7. As per the general decision taken on 06.05.08, letter issued on 26.05.08  for installation of:

(a) Solar water heating system 
(b) Rain water harvesting system 
(c) Replacement of ordinary Bulbs with CFL 
(d)  ETP 
(e) Plantation of trees along side of the periphery of the Hospital building.
8.As decided on 27.08.08

 Dr. Joshi  spoken  to DG .

9.Letter dt 23.01.09 received informing that they are having their BMWM contract with Synergy.

	Dr. Chetna to speak to MS of the Hospital & expedite.


	Dr. Chetna spoken
	Issue final reminder to apply for Consent to Establish. Call on 29.01.2009.
	Reminder issued
	Issue final reminder. Call on 02.03.2009

	Sl No.
	Name and Address of HCU
	Bed (No.)
	Dist. No.
	Authorization Application Date
	Consent Application Date
	 Status of the Case / Remarks 
	Decision Taken in the Meeting on 28.11.08
	Action Taken w.r.t. Meeting on 28.11.08
	Decision Taken in the Meeting on 29.12.08
	Action Taken w.r.t. Meeting on 29.12.08
	Decision Taken in the Meeting on 29.01.09



	42.
	ESI Hospital, Sector-15. Rohini
	100
	NW-010
	05-Oct-07
	20-Jul-05 (CTO) & 18.07.08(CTO), CTE on 24.10.08.
	1. Authorization was valid up to 1-11-2007(C/91).

2. Applied for renewal of authorization on 05.10.07

3 D.O. letter issued to Jt. Secy. (Labour) GOI with copy to DG ESI. Reply received from JS. 

4. Talked to the official of the hospital as decided on 15.11.07. 

5. As decided in the meeting on 18.03.08 letter for deficiencies was issued  including seeking application for Consent to Establish under Air & Water Acts 

6. As per the general decision taken on 06.05.08, letter issued ON 26.05.08  for installation of:

(a) Solar water heating system 

(b) Rain water harvesting system 

(c) Replacement of ordinary Bulbs with CFL 

(d)  ETP 

(e) Plantation of trees along side of the periphery of the Hospital building.

7.EE(BMW)  talked to the official (s) of the hospital 8.Letter dated 12-06-08 and 16-06-08.w.r.t letter dated 26-05-08.receiverd , asking for time upto 31-10-08, for  necessary installation. 

8. As decided on 27.08.08 Dr. Joshi SPOKEN to DG .

9. Vide letter dated 24.10.08, informed that (i) SWHS – proposals received and are being processed.(ii) RWHS – Estimates received & are being vetted.(iii) CFL – will be completed soon.(iv) ETP – Estimate received. Time asked upto 31.03.10. (v) Frontal & side periphery has already trees planted  at back side . matter is being followed.

10. As decided on 30.10.08, letter was issued for properly filling up the CTE form and to submit compliance of earlier decisions of BMW Committee.


	Reminder for Compliance of five points as decided earlier.
	Reminder Issued
	Consent to Establish granted subject to compliance of all the five conditions. Call on 29.01.2009.
	CTE issued
	Call on 02.03.2009

	Sl No.
	Name and Address of HCU
	Bed (No.)
	Dist. No.
	Authorization Application Date
	Consent Application Date
	 Status of the Case / Remarks 
	Decision Taken in the Meeting on 28.11.08
	Action Taken w.r.t. Meeting on 28.11.08
	Decision Taken in the Meeting on 29.12.08
	Action Taken w.r.t. Meeting on 29.12.08
	Decision Taken in the Meeting on 29.01.09



	43.
	Institute of Human Behaviour & Allied Sciences, Near GTB Hospital, Dilshad Garden
	190
	NE-003


	5-Aug-05(valid)
	17.07.08 (Operate)& 04.08.08(CTE)
	1. Authorization is valid up to 4-8-2008(C/109 of the concerned file). 

2. Applied for renewal of  Consent to Operate on 15.01.08.

3. Acoustic Enclosure provided for DG Set of 2x 625 KVA & for other DG Set, (180 KVA DG Set) it is informed that it is not in operation ( acoustic enclosure not provided). Noise Monitoring Report for DG Set not submitted.

4.. As decided in the meeting on 18.03.08 letter for deficiencies was issued  including seeking application for Consent to Establish under Air & Water Acts
5. As per the general decision taken on 06.05.08, letter issued ON 26.05.08  for installation of: (a) Solar water heating system 
(b) Rain water harvesting system (c) Replacement of ordinary Bulbs with CFL (d)  ETP(e) Plantation of trees along side of the periphery of the Hospital building.
6.. As per the decision taken in meeting on 13.06.08 a common letter to Pr. Secy(Health) with copy to Pr.Secy(PWD) from chairman, DPCC was issued.

7. CTE granted as per decision taked on 27.08.08.

8. Communication along with effluent test report from DPCC lab and a copy of letter addressed to HOD, Deptt. of Microbiology of IHBAS received. Parameter of Bio Assay   not done.

9.As decided on 27.08.08 CTE issued with condition  that ETP will be installed expeditiously and noise monitoring report and CGWA clearance to be filed within 01 month. 
10. w.r.t letter dated 22.10.08, vide letter dated  07.11.08, informed that for CGWA clearance matter is under process and Noise Monitoring report submitted for DG Set of 625 KVA.


	Call on 29.12.2008
	No Action
	Dr. Chetna to speak. Call on 29.01.2009.
	Dr. Chetna spoken
	Dr. Chetna to speak. Call on 02.03.2009.

	Sl No.
	Name and Address of HCU
	Bed (No.)
	Dist. No.
	Authorization Application Date
	Consent Application Date
	 Status of the Case / Remarks 
	Decision Taken in the Meeting on 28.11.08
	Action Taken w.r.t. Meeting on 28.11.08
	Decision Taken in the Meeting on 29.12.08
	Action Taken w.r.t. Meeting on 29.12.08
	Decision Taken in the Meeting on 29.01.09



	44..


	Palika Maternity Hospital, Lodhi Colony , New Delhi-3
	50
	S-018


	09-Aug-05


	 Applied for CTE on 27.11.08

	1. Authorization is valid up to 30-01-2010(C/128).

2. SCN u/s 21/22 of Air Act was issued on 11-6-2007(C/137) but HCU did not apply under Air Act.

3. As decided on 1-8-2007, D.O. letter was issued on 17-8-2007 to Chairperson, NDMC..

4. Letter issued seeking consent application under Air Act , HCU s has informed in its reply that there is no Boiler and DG Set in the Hospital and also informed that installed incinerator is not functional ( closed) 

5. Talked to the official of the hospital as decided on 15.11.07. 

6. As decided in the meeting on 18.03.08 letter for deficiencies was issued  including seeking application for Consent to Establish under Air & Water Acts
7.EE(BMW)had talked to the official (s) of the hospital
As per the decision taken in meeting on 13.06.08 a letter from Chairman ,DPCC to Chairman,NDMC was issued.

8. As decided  on 27.08.08  reminder letter  was  issued. 


	Dr. Joshi’s team to inspect and report.
	To be Inspected
	To be inspected. Call on 29.01.2009.
	To be inspected


	Dr. Joshi’s team to inspect.  Call on 02.03.2009

	Sl No.
	Name and Address of HCU
	Bed (No.)
	Dist. No.
	Authorization Application Date
	Consent Application Date
	 Status of the Case / Remarks 
	Decision Taken in the Meeting on 28.11.08
	Action Taken w.r.t. Meeting on 28.11.08
	Decision Taken in the Meeting on 29.12.08
	Action Taken w.r.t. Meeting on 29.12.08
	Decision Taken in the Meeting on 29.01.09



	45
	International Centre for Genetic Engineering & Bio Tech, ICGEB  Campus, P.O. Box  10504, Aruna Asaf Ali Marg, Delhi -67.
	Nil
	SW-054


	21- Mar- 05

and on 11.06.08 (for renewal)
	 Applied for CTE & CTO on 11.07.08
	1. This is a case of Research Centre (Veterinary) of Govt , which is engaged in research activities related with veterinary / Genetic Engineering & have applied for  authorization under BMW Rules. Provisional Authorization granted earlier was valid upto 05.11.2002. Application for renewal was received on 21.03.05.which was placed before the BMW Committee No. 3, in its meeting held on  18.10.07, and  it was decided by the said Committee  that being a case of research institute, put up on file for deciding which BMW Committee should deal this case . The matter was put in fil e  and as decided by MS, DPCC, this case has been  included in the cases to be dealt by BMW Committee No.1. 2. The Institute has installed an incinerator for the disposal of BMW. and submitted stack monitoring report  dated 19.05.05. showing parameters within the prescribed limits.3.  Two  DG Sets of capacity 625 KVA each found installed without acoustic enclosure during the inspection carried out on 27.06.05 .4. As decided in the meeting on 18.03.08, letter for deficiencies was issued.

5. Applied fresh on 11.06.08 for renewal of authorization under BMW Rules. 6.The HCU has submitted reply in response to the letter dated 02.05.2008 and has submitted balance fees.7. Inspection was conducted on 30.07.08 & deficiencies were observed w.r.t BMW rules. Work for installation of acoustic enclosure for DG Sets was going on for the 2 DG Sets of 625 KVA each. .Third DG Set is having inbuilt Acoustic Enclosure. ETP found installed.

7. As decided  on 27.08.08 CTE  was issued with conditions that  CGWA clearance to be filed within 01 month and Noise monitoring Report for DG Sets . STP already installed.8.W.r.t letter dated 22.10.08, Copy of permission letter Dated 06.09.02, from CGWA Tube Well submitted.8. Noise monitoring report for two DG Sts of 625 KVA submitted.

 
	Compliance of    27.08.2008 condition. 
	Letter issued
	Ask the unit to file adequacy report of STP. Call on 29.01.2009
	Letter issued
	Call on 02.03.2009

	Sl No.
	Name and Address of HCU
	Bed (No.)
	Dist. No.
	Authorization Application Date
	Consent Application Date
	 Status of the Case / Remarks 
	Decision Taken in the Meeting on 28.11.08
	Action Taken w.r.t. Meeting on 28.11.08
	Decision Taken in the Meeting on 29.12.08
	Action Taken w.r.t. Meeting on 29.12.08
	Decision Taken in the Meeting on 29.01.09



	46
	Bhagwan Mahavir Hospital  , H – 4/5, Pitampura, Delhi -34.
	200
	NW-301


	19- Mar-07
	20-sep-07
	1. This is a case of Delhi GOVT. Hospital having 200 beds. 

2. Earlier authorization was granted under BMW Rules which was valid upto 19.04.07. 

3. The Hospital was inspected on 30.09.05 & two DG Sets of 750 KVA each were found with acoustic enclosure. Noise monitoring report of DG Sets not submitted. As per application DG Sets stack height is not adequate.

4. The BMW  is disposed through M/s Synergy  Waste Management Pvt. Ltd. 

5. As decided in the meeting on 18.03.08, letter for deficiencies was issued on 24.04.08 includind seeking CTE..

6. Reply received w.r.t. letter dated 24.4.2008.

7. As per the general decision taken on 06.05.08,     letter issued  ON 26.05.08 for installation of:

      (a) Solar water heating system 

      (b) Rain water harvesting system 

      (c) Replacement of ordinary Bulbs with CFL 

      (d)  ETP  (e) Plantation of trees along side of the  

      periphery of the Hospital building.
8.   EE(BMW)  talked to the official (s) of the

            hospital.

 9.Reply  dated 10.06.08 received w.r.t. letter dated 24.4.2008  regarding submission of  reports w.r.t 2 DG sets and waste water generated in the hospital was received.

10 Reply  dated 23-06-08.w.r.t latter dated .26-.05-8 was received regarding doing the needful as directed
      11. As per the decision taken in meeting on 13.06.08 a common letter to Pr. Secy(Health) with copy to Pr.Secy(PWD) from chairman, DPCC was issued.

12. As decided  on 27.08.08,reminder letter  was  issued.

	Call on 29.12.2008
	No Action
	Issue final reminder for submitting compliance of earlier decisions. Call on 29.01.2009
	Reminder issued
	Issue final reminder. Call on 02.03.2009

	Sl No.
	Name and Address of HCU
	Bed (No.)
	Dist. No.
	Authorization Application Date
	Consent Application Date
	 Status of the Case / Remarks 
	Decision Taken in the Meeting on 28.11.08
	Action Taken w.r.t. Meeting on 28.11.08
	Decision Taken in the Meeting on 29.12.08
	Action Taken w.r.t. Meeting on 29.12.08
	Decision Taken in the Meeting on 29.01.09



	47
	Swami    Dayanand Hospital, Shahdara , Delhi-32
	230


	NE-002
	01-May-05
	10-Jul-05(CTO valid upto 30.05.10)& 24.06.08(CTE)
	1. Authorization is valid up to 7-3-2010.

2. Consent to Operate is valid up to 30-5-2010.

3. As decided in the meeting on 18.03.08, letter for deficiencies was issued on 02.05.08. Reply received vide letter dated 09.06.08 regarding submission of reports for DG Sets & waste water test report.


4. Applied for Consent to Establish.


5. As per the general decision taken on 06.05.08, letter issued  on 26.05.08 for installation of  (a) Solar water heating system (b) Rain water harvesting system (c) Replacement of ordinary Bulbs with CFL (d) ETP (e) Plantation of trees along side of the periphery of the Hospital building.

6.Reply received in response to letter dated 02.05.2008.

7.EE(BMW)  talked to the official (s) of the hospital.

8.Reply dated 10-06-08,w.r .t letter dated 26-05-08.received  informing about doing the needful as directed .

9.Deficiencies observed during inspection are:-

(i)Bins found absent at storage area bags were kept on ground.

(ii)Puncture proof containers found absent.

(iii)ETP installation is under consideration.

10.submitted reply of the letter issued w.r.t. decision on meeting of 27.08.08 informing: CTE applied, Waste water generation is 400KLD, process of ETP installation started, enquiring about status of ground water from concerned works & electric deptt.

11. Decision taken on 27.08.08

 While CTE application has been received, it cannot be processed since wastewater generation and its treatment details are not submitted and also submit CGWA clearance. MS to inform MS accordingly.
12.Letter was  issued Inspected alongwith Dr. T.K. Joshi on 17.09.08.
13. Inspection of the Hospital was conducted on 15.01.09 & monitoring of the incinerator  was conducted on 16.01.09 . Deficiencies observed. Temperature range for Primary  Chamber  are not meeting the prescribed standards.
	Compliance of 27.08.2008 condition.
	Letter Issued
	Issue final reminder for submitting compliance of earlier decisions. Call on 29.01.2009
	Reminder issued
	Issue D.O.

Letter from MS,DPCC to MS of Hospital,for  rectificationof the deficiencies observed during the inspection and monitoring.Unitto submit fresh monitoring report for incinerator.Unit to file compliance report, with dates, on thefivepoints mentioned in our earlier letters.D.O.

Letter also to be issued from Chairman,DPCC to Commissioner ,MCD. Call

 on 02.03.2009.

	Sl No.
	Name and Address of HCU
	Bed (No.)
	Dist. No.
	Authorization Application Date
	Consent Application Date
	 Status of the Case / Remarks 
	Decision Taken in the Meeting on 28.11.08
	Action Taken w.r.t. Meeting on 28.11.08
	Decision Taken in the Meeting on 29.12.08
	Action Taken w.r.t. Meeting on 29.12.08
	Decision Taken in the Meeting on 29.01.09



	48


	MCD Chest Clinic and Hospital, Nehru Nagar, New Delhi- 65
	55
	S-236


	28-Dec-04
	Not Applied
	1. Authorization is valid till 30-10-2010(C/80).

2. SCN u/s 21/22 of Air Act was issued on 11-06-2007(C/82) since HCU had not applied under Air Act.

3. HCU submitted the reply on 26-7-2007(C/102) wherein it is mentioned that the DG set is out of order and not being used by them.

4. As decided in the meeting on 18.03.08, letter for deficiencies was issued on 02.05.08 including seeking application for CTE.

5. Reply received w.r.t. letter dated 02.05.08. Required documents not submitted instead asked whether it is necessary to obtain consent under Air / Water Acts.
6. EE(BMW)  talked to the official (s) of the hospital & clarified the position that it is required.to apply for CTE.

7. Another letter dated 09.08.08 received . It is informed that PWD has been  requested to provide information so that need ful can be done as directed by DPCC. It is also informed that neither  Incinerator nor DG Set is working.since 2002. 

Letter received. 

8. As decided  on 27.08.08 reminder letter was  issued. 

	Dr. Chetna to speak to MS of the Hospital & expedite.


	Dr. Chetna spoken
	Dr. Chetna to speak. Call on 29.01.2009.
	Dr. Chetna spoken
	Dr. Chetna to speak. Call on 02.03.2009.

	Sl No.
	Name and Address of HCU
	Bed (No.)
	Dist. No.
	Authorization Application Date
	Consent Application Date
	 Status of the Case / Remarks 
	Decision Taken in the Meeting on 28.11.08
	Action Taken w.r.t. Meeting on 28.11.08
	Decision Taken in the Meeting on 29.12.08
	Action Taken w.r.t. Meeting on 29.12.08
	Decision Taken in the Meeting on 29.01.09



	49
	Maharishi Balmiki Hospital, Pooth khurd , New Delhi-39
	100
	NW-011


	30-Jan-04
	26-Mar-07 ( operate valid upto 03.10.10)

& 07.07.08( CTE)
	1. Authorization is valid up to 30-01-2010 (C/84). 

2. Consent to Operate  granted under Air Act as decided on 04.10.07& valid upto 03.10.2010.
3.. As decided in the meeting on 18.03.08, letter for deficiencies was issued.
4.. As per the general decision taken on 06.05.08, letter issued on 26.05.08 for installation of 
(a) Solar water heating system 
(b) Rain water harvesting system 
(c) Replacement of ordinary Bulbs with CFL 
(d)  ETP 
(e) Plantation of trees along side of the periphery of the Hospital building.
5. Copy of communication to EE(PWD) by the HCU submitted w.r.t the letters issued by DPCC vide letter dated 11.06.08.6. Another letter received from the Hospital on 10.07.08 stating the matter has been referred to PWD.

6. As per the decision taken in meeting on 13.06.08 a common letter to Pr. Secy (Health) with copy to Pr.Secy(PWD) from chairman, DPCC was issued.

7. As decided on 27.08.08  CTE  was issued with conditions that CGWA clearance and proper affidavit will be filed within 01 month. 
8. Necessary document ask have been submitted

9. Reply dt. 28.11.08 received regarding five point compliance stating SWHS under process, RWHS not required CFL replacement is done in phase manners, ETP is already installed 

10.Reply dated 19.01.09 received referring earlier letter.


	Compliance of conditions of 27.08.2008
	Letter Issued
	Ask the unit to submit interim report . Call on 29.01.2009.
	Letter issued
	Call on 02.03.2009.

	Sl No.
	Name and Address of HCU
	Bed (No.)
	Dist. No.
	Authorization Application Date
	Consent Application Date
	 Status of the Case / Remarks 
	Decision Taken in the Meeting on 28.11.08
	Action Taken w.r.t. Meeting on 28.11.08
	Decision Taken in the Meeting on 29.12.08
	Action Taken w.r.t. Meeting on 29.12.08
	Decision Taken in the Meeting on 29.01.09



	50
	Dr. Shyama Prasad Mukherjee Chest Hospital, Patpar ganj, Delhi-91
	52
	E-004
	17-Aug-06
	Applied for CTE & CTO on 04.12.08


	1. Authorization is valid up to 7-3-2010(C/56).

2. HCU reply to the SCN under Air Act with the undertaking that no DG set is in operation(C/58).

3. As decided in the meeting on 18.03.08, letter for deficiencies was issued on 26.05.08.  
4.Reply dated 12-06-08.w.r.t letter dated 26-05-08. received.Another letter received on 10.07.08.

5. EE(BMW)  talked to the official (s) of the hospital.

6. Letter was received.

7. As decided  on 27.08.08 reminder letter was issued.

	Dr. Chetna to speak to MS of the Hospital & expedite.


	Dr. Chetna spoken
	Dr. T.K. Joshi’s Committee to inspect and report. Call on 29.01.2009
	To be inspected
	Inspection by Dr. Joshi’s team. Call on 02.03.2009

	51
	National Institute of Immunology, Aruna Asaf Ali Marg, New Delhi-67
	-----
	S-149
	3-Jun-04


	CTE Applied on 27.11.08
	1. This is a research Institute. Earlier the case dealt by BMW Committee No. 3 and as decided case transferred to Committee No. 1

2. Authorization is valid upto  30.04.09. 

3. Not applied for consent to establish.

4. Letter dated 15.10.08 received asking for time to submit the form  as testing of noise level of D.G. set and stack monitoring is in process. 5. As decided on  27.08.08 reminder letter was  issued.

6. Vide letter dated 07.10.08, request made for extra time for submission of test reports for DG Set. 


	Dr. Chetna to speak to MS of the Hospital & expedite.


	Dr. Chetna spoken
	Call for personal hearing on 29.01.2009 at 4.40 PM.
	Letter issued
	The unit came for personal hearing today.  The unit will apply for Consent to Operate and send a copy of noise monitoring report of the D.G. Set. Call on 02.03.2009.

	Sl No.
	Name and Address of HCU
	Bed (No.)
	Dist. No.
	Authorization Application Date
	Consent Application Date
	 Status of the Case / Remarks 
	Decision Taken in the Meeting on 28.11.08
	Action Taken w.r.t. Meeting on 28.11.08
	Decision Taken in the Meeting on 29.12.08
	Action Taken w.r.t. Meeting on 29.12.08
	Decision Taken in the Meeting on 29.01.09



	52
	Moti  Nagar Hospital 

(Acharya Bhikshu Hospital), Govt. of Delhi, Moti Nagar, Delhi-15
	81
	W-015
	25-Oct-07


	Not applied for CTO. Not Applied for CTE.
	1. This is a hospital of Govt of Delhi. 

2. Earlier authorization was granted valid upto 08-04-07.

3. Not applied for CTO.  Not Applied for CTE. 

      4.   As decided on 27.08.08  letter was issued asking  unit to             apply for CTE. 


	Dr. Chetna to speak to MS of the Hospital & expedite.


	Dr. Chetna spoken
	Ask the unit to submit interim report and Dr. Chetna to speak. Call on 29.01.2009.
	Letter issued
	Issue reminder. Dr. Chetna to speak. Call on 02.03.2009

	53.
	Rajiv Gandhi Super Speciality Hospital

Near GTB Hospital, Tiharpur, Delhi-93
	650
	
	
	CTE not applied
	As decided trainee BMW inspected on 21.11.08 & following observed 1. It is a Hospital of Govt. of Delhi.    2. Building of Hospital found under Construction.   3. It was informed that the construction started in year 2000.     4. HCE is having a Plot Area of 52595 sq. mt. and proposed Build-up area of 60490 sq. mt.                                                                            5. Proposed Capital investment of Rs.99.71 Crores.                                                                                                      6. 4 DG set(s) of 1000 KVA each with acoustic enclosures having Stack Height of approx 8 mts observed.  7. Rain Water Harvesting System found under construction.   8. STP (Sewage Treatment Plant) found under construction.     9. CTE not applied.
	Ask the unit to apply for CTE.
	Letter Issued
	Issue final reminder to apply for Consent to Establish. Call on 29.01.2009.
	Reminder issued
	Issue final reminder. Call on 02.03.2009

	54
	Institute of Liver & Biliary Sciences, D-1, Vasant Kunj, New Delhi-70
	188
	
	
	CTE applied on 16.10.08
	1. Applied for Consent to Establish under Air & Water Act on 16.10.08

2. It is an Autonomous Society under Govt. of Delhi.

3. Stated in the application that EC not required as the total built up area of the project is less than 20,000 Sq. meters.
	‘‘Consent to Establish  under the Air & Water Acts granted . Meanwhile Dr. Joshi’s Committee to inspect and report.”
	CTE issued. To be inspected


	To be inspected. Call on 29.01.2009.


	To be inspected.


	Inspection by Dr. Joshi’s team. Call on 02.03.2009


Annexure- 3

Decision taken by BMW Committee No. 1 
in the  meeting held on 29.01.2009 , w.r.t Agenda No. 3, Regarding proposals received from Dr. T.K.Joshi on (i)  Study on the Lead (ii)Study on the  Effect of  Mercury Waste 
 (i) Action Taken Report w.r.t Study on the Lead
      Earlier in meeting on 08.02.08, It was decided that a study has to be done of the      quantum of lead used in Delhi and is likely adverse impact on the citizen of Delhi. Such      study will reveal the appropriate strategy for handling and containing the   effect of lead on      the health of the city.  Based on study further necessary action   will be taken. Information      sought by Dr.T.K.Joshi was sent.

   
(ii) Action Taken Report w.r.t Study on the Effect of Mercury Waste 

      In the meeting on 08.02.08 , it was decided that a formal study on  the effect of Mercury       Waste on  the citizens of Delhi will be done since as informed by Dr.T.K.Joshi,  no such      study in Delhi has been carried out earlier. Dr. T.K. Joshi will submit a proposal. The      proposal will also look at the appropriate technologies for disposal of Mercury waste in the          city.Information sought by Dr  T.K.Joshi  was  sent .

      Decision Taken in the Meeting of BMW Committee No. 1, on 06.05.08 

Dr. T.K. Joshi to submit the proposals for both the studies (i) Study on the lead & (ii)  Study onthe Effect of Mercury Waste , within the month of May, 2008.

     Action Taken : Letters issued to Dr. T.K. Joshi for the proposal for both the studies (i)       Study on the lead &  (ii) Study on the Effect of Mercury Waste.                               

     Separate  proposals for  both the studies, received from Dr. T.K.Joshi , were placed before      the Committee 

     Decision Taken in the Meeting of BMW Committee No. 1, on 13.06.08

     Both the proposals  received from Dr. T.K.Joshi  may be examined by Dr. Chetna Harjai,      Scientist , Deptt.of  Environment and put up  by 14.07.2008.

    Action  Taken  w.r.t decision taken  on 13.06.08
     Copy of both the Proposals were given to Dr. Chetna Harjai in the meeting on 13.06.08. Her      comments are awaited. 

    Decision Taken in the Meeting of BMW Committee No. 1, on 14.07.08

    Put up on file for administrative decision. 
    
    Action  Taken  w.r.t decision taken  on 14.07.08
    Concerned  files  after getting the proposals for both the studies were  submitted  however     not returned back then. 

    Decision Taken in the Meeting of BMW Committee No. 1, on 27.08.08

    Both files to be procured & submitted administratively within a week.

    
  Action  Taken  w.r.t decision taken  on  27.08.08 :

  Regarding (i) above as decided earlier by the Committee the proposal on Lead was examined   by Dr. Chetna of Deptt.of Env. & Submitted to Chairman, DPCC. It is learnt from Ms Kamna   that the said matter/ file was marked to her &  as directed by Chairman she has to speak to   Chairman, DPCC on the said matter. 

  Regarding (ii) Above , Proposal received from Dr. T.K.Joshi for Study on the   effect of    Mercury waste , Finance Deptt. of  Govt. of NCT Delhi has given its concurrence . 

2

 Decisions Taken in the Meeting of BMW Committee No. 1, on 29.09.08 : 
      

 (i) Since Finance Deptt. of  Govt. of NCT Delhi has given its concurrence on the Proposal        received from Dr. T.K.Joshi for Study on the   effect of  Mercury waste, further action is to        be taken by Dr.T.K.Joshi. 

 (ii) Regarding the proposal received from Dr.T.K.Joshi  on the study on Lead the matter to        be decided administratively on  file. 

 Action  Taken  w.r.t decision taken  on  29.09.08 :

Regarding (i) above, a letter has been received from Dr.T.K.Joshi requesting for the release of payment to start the work.

Regarding (ii) above as decided on file by Chairman, DPCC, a letter has been issued to Dr..T.K.Joshi seeking his response on the points raised by the Deptt of Environment, GNCT Delhi on the proposal received from Dr.T.K.Joshi.

Decision Taken by BMW Committee No. 1 in the Meeting Held on 30.10.2008:
Action will be taken administratively.

 Action  Taken  w.r.t decision taken  on  30.10.08 :

Regarding (i) above,  as decided the matter has been put on file for administrative decision for the release of payment to start the work for Study on the   effect of    Mercury waste.

Regarding (ii) above as decided on file by Chairman, DPCC, a letter was  issued to Dr..T.K.Joshi seeking his response on the points raised by the Deptt of Environment, GNCT Delhi on the proposal received from Dr.T.K.Joshi on the study on lead. Response awaited.

Decision Taken by BMW Committee No. 1 in the Meeting Held on 28.11.2008:
                                      File be  submitted administratively.

 Action  Taken  w.r.t decision taken  on  28.11.08 :

File submitted administratively.

Decision Taken by BMW Committee No. 1 in the Meeting Held on 29.12.2008:
File to be submitted administratively.  

 Action  Taken  w.r.t decision taken  on  29.12.08 :

File submitted administratively.

 Decisions Taken by BMW Committee No. 1 in the Meeting Held on  29.1.2009:

File to be submitted administratively.  

 

 

 (J.K. Dadoo)                           (Dr. A.K. Ambasht)                          ( Dr.T.K.Joshi) 
 Chairman,DPCC                            M.S.,DPCC                              COEH, MAMC      

                        (Dr. Chetna Harjai)                           ( D.K.Singh )                       ( Sanjay Vatts)    
                 Scientist, Env.Deptt, GNCTD                     EE ( BMW)                     AEE ( BMW)                     
                                                                                                            Annexure- 4
Decision taken by BMW Committee No. 1 in the  meeting held on 29.01.2009 , w.r.t Agenda No. 4 :  Minutes of the Meeting of Advisory Committee on BMW Held on 31.10.2008

A meeting of the Advisory Committee on Bio Medical Waste Management held on 31st October 2008 at 3.00 PM at the chamber of Principal Secretary (Health & Family Welfare) at 9th Level, Delhi Secretariat New Delhi-02. Minutes of the  said meeting have been received and copy is enclosed 

Following decisions were taken wherein DPCC has to take action besides action by other Agencies :

1. DPCC will conduct regular inspections and the report will be placed before the Committee.

2. Delhi Medical Association will be involved in the training programmes of Nodal Officer of Govt. and Private Hospitals. ( Action  DHS,COEH,DPCC and DMA)

3. The information in the form of Frequently Asked Questions on biomedical waste management will be displayed on website (Action  DMA,DHS,DPCC) .

4. DPCC has taken a decision to get ETPs installed in 79 hospitals having more the 100 beds ( Action  DPCC, concerned Hospitals).

5. Emission testing of all 17 inclinators presently functional (including two CBWTFs) will be conducted by DPCC and the report will be presented in the next meeting.

6. Sensitization of Delhi Police for Bio Medical Waste (Management and Handling ) Rules, 1998, will be done by DPCC

The next meeting of the said Advisory Committee will be held in January 2009.

The said matter was put in file and as decided by the Member Secretary, DPCC, the matter is placed before the Committee for its perusal.

Decision taken by the BMW Committee No1 in the Meeting Held on 28.11.2008
                                         File be submitted administratively.

Action Taken  w.r.t decision taken in the  meeting  on 28.11.08:

                                         File submitted administratively.
Decisions Taken by BMW Committee No. 1 in the Meeting Held on  29.12.2008:

                                                    File to be  submitted administratively.
Action Taken  w.r.t decision taken in the  meeting  on 29.12.08:
                                        File submitted administratively.

Decisions Taken by BMW Committee No. 1 in the Meeting Held on  29.1.2009:

       

                                         File to be  submitted administratively.
  (J.K. Dadoo)                           ( Dr. A.K. Ambasht)                          ( Dr.T.K.Joshi) 

        Chairman,DPCC                          M.S.,DPCC                                     COEH, MAMC      

       (Dr. Chetna Harjai)                        ( D.K.Singh )                  ( Sanjay Vatts)     Scientist, Env.Deptt, GNCTD                  EE ( BMW)                          AEE ( BMW)              
                                                                                                                                     Annexure- 5
Decision taken by BMW Committee No.1in the meeting held on 29.01.2009 ,w.r.t Agenda No. 5 : Monitoring of 17 Incinerators.

W.r.t the High Court Case W.P.(C) No. 6377 of 2004, in the matter of “Court on its Own Motion Vs Delhi Pollution Control Committee.” Regarding Hospital Incinerators in Delhi, Chairman ,DPCC had directed that  team of Dr.T.K.Joshi (for the inspection related to Health Care Establishments and Bio-Medical Waste) will carry out the monitoring of the Hospitals and Two Common Bio- Medical Waste Treatment Facilities (CBWTF) in Delhi to know the present status of the Rules, 1998, as amended to the date, within a month and submit the report to the Member Secretary, DPCC.

Out of 17 Units, Inspection and Monitoring have been carried out in case of 10 units having Incinerators. The inspection and Monitoring  are going on . 

       Decisions Taken by BMW Committee No. 1 in the Meeting Held on  29.12.2008:
                     Inspections to be expedited.

Action Taken Report w.r.t Decision taken on 29.12.2008
Inspection of 10 units out of 17 units having incinerators have been conducted so far. Monitoring have been conducted in case of 9 units since  incinerator of one unit ( Rao Tula Ram Hospital , Jafferpur, Delhi ) is not operational for last few months. Letters issued in case of 4 units as decided by the Committee in the meeting on 29.12.08. Hon’ble High Court has directed to complete the inspection /monitoring work of these incinerators within 4 weeks and  submit the report within 6 weeks . Next date of hearing in the matter is on 25.02.08. The work of inspection/monitoring is going on. 

The Committee was apprised about the observations made by the Team of Dr.T.K.Joshi and also about the monitoring results for the incinerators monitored by DPCC Laboratory.
      Decisions Taken by BMW Committee No. 1 in the Meeting Held on  29.1.2009:

      Decisions taken in respect of the inspected /monitored units are given at Annexure  1 & 2.  In rest        of the cases inspections to be expedited.

 (J.K. Dadoo)                               ( D
r. A.K. Ambasht)                     ( Dr.T.K.Joshi) 

 Chairman,DPCC                            M.S.,DPCC                              COEH, MAMC      

   (Dr. Chetna Harjai)                           ( D.K.Singh )                  ( Sanjay Vatts)  
  Scientist, Env.Deptt, GNCTD           EE ( BMW)                    AEE ( BMW)              
                                                                                                           Annexure- 6
Decision taken by BMW Committee No. 1 in the  meeting held on 29.01.2009 , w.r.t Agenda No. 6 - Case of  M/s Medicare Products Inc. 4/7 (2nd Floor), Kirti Nagar Industrial Area, Delhi -15 .

Case of M/s Medicare Products Inc. 4/7 (2nd Floor), Kirti Nagar Industrial Area, Delhi -15, was sent to the BMW Cell for inspection of the unit by team of Dr. T.K.Joshi, The inspection of the unit was carried out  on 12.12.08 by the said team and inspection report was sent to CMC I .  In the  report sent to CMC it was informed that the unit is engaged in manufacturing of Thermometers using mercury . It was also mentioned that the unit does not generate Bio-Medical Waste. Mercury Waste is covered under the Hazardous Wastes (Management and Handling),Rules.1989. 

Following decision was taken  by CMC (Orange ) in its meeting on 18.12.08:

“  Ask the unit to follow the procedure outlined by the T.K.Joshi  Committee’s report and submit an affidavit for handling mercury waste. Call on 21.01.2009.” 

Letter was issued by CMC  I to the unit on 07.01.09. Reply received on 20.01.09. from the unit alongwith an affidavit regarding measures taken for the proper handling of mercury.  

As decided by the CMC in its meeting on 21.01.09 , the case of the unit is placed before the BMW Committee No1. for the meeting on 29.01.09.

       Decision Taken by BMW Committee No. 1 in the Meeting Held on  29.1.2009:

 Ask the unit to file an affidavit indicating their present status. 

 (J.K. Dadoo)                           ( Dr. A.K. Ambasht)                          ( Dr.T.K.Joshi) 

 Chairman,DPCC                            M.S.,DPCC                              COEH, MAMC      

   (Dr. Chetna Harjai)                           ( D.K.Singh )                  ( Sanjay Vatts)  
  Scientist, Env.Deptt, GNCTD          EE ( BMW)        AEE ( BMW)              
	Sl No.
	Name and Address of Unit 
	Bed (No.)
	Dist. No.
	Authorization Application Date
	Consent Application Date
	                                                    Status of the Case / Remarks 
	Decision Taken on 30.10.08
	Action Taken w.r.t. Meeting on 30.10.08
	 Decision Taken on 28.11.08
	Action Taken w.r.t. Meeting on 28.11.2008
	 Decision Taken on 29.12.08
	Action Taken w.r.t. Meeting on  29.12.08.
	 Decision Taken on 29.01.09

	1
	Maharaja Agrasen Hospital, West Punjabi Bagh, New Delhi- 26
	350
	W-003
	01.06.07
	10.09.05 (Operate), 04.04.08 (Establish)
	1. Applied for CTE on 04.04.08. 2. Inspected on 10.06.08 deficiencies were observed.3. As per the decision taken on 06.05.08, letter issued on 26.05.08 for installation of (a) Solar water heating system (b) Rain water harvesting system (c) Replacement of ordinary Bulbs with CFL (d) ETP (e) Plantation of trees along side of the periphery of the Hospital building.4. As per the decision taken in the meeting on 13.06.08 letter from MS, DPCC was issued to MS of the hospital indicating all the deficiencies and asking for correction of deficiencies and filing of an affidavit before 14.07.2008 without fail. 5. Reply received of the letter issued w.r.t. decision taken by the committee in its meeting held on 13.06.08. Affidavit submitted. Letter received on 24.10.08& informed that quotations received for ETP ,clearance obtained from CGWA, Solar water heating system is under installation, regarding RWHS technical feasibility is being undertaken, 1000 bulbs & 1200 tubelights have been replaced with CFL &  plantation done. Reply received  dt 26.11.08 stating that SWHS installation has been completed, quotation has been received for ETP & RWHS.Reply dated 13.01.09 received stating that ETP-work will be completed within 1 month,RWHS-qualtation have been finalized, replacement of mercury based instrunments-being done in phased in matter. 
	Reply received. Confirmation of ETP, Rain water harvesting system and solar water heating system to be filed by 28.11.2008
	Letter issued
	Rain Water Harvesitng  System must be installed  by December, 2008  and ETP by March, 2009 .
	Letter Issued
	Call on 29.01.2009
	____
	Call on 02.03.2009

	2
	Tirath Ram Hospital, 2 ,R.B.L,Isher Das Sawhney Marg, Rajpur Road,New Delhi -54
	165
	N-003
	28.07.06
	11.01.07 11.4.08(CTE)
	1. Inspected on 05.11.07 and deficiencies were found. 2. As per the decision taken by Committee on 15.11.07, Letter was issued. Reply received.  3.  As decided in the meeting on 18.03.08, letter for deficiencies was issued. 4. Applied  for Consent to Establish on 11.04.08. Replied for the letter issued on 25.4.2008, Effluent analysis report submitted.
5. As per the general decision taken on 06.05.08, letter issued for installation of:
(a) Solar water heating system 
(b) Rain water harvesting system 
(c) Replacement of ordinary Bulbs with CFL 
(d) ETP 
(e) Plantation of trees along side of the periphery of the Hospital building.
6.As per the decision taken in meeting on 13.06.08 CTE granted and letter seeking compliance w.r.t. letter dated 26.05.08 was issued. Reply received. 7. Reply dated  13.01.09 received w.r.t letter dated 23.12.08 stating that RWHSwill be complieted by 31.01.09 ,ETP & SWHS-work in progress.
	Call for personal hearing at 3.00 PM on 28.11.2008
	Letter issued
	The unit came for personal hearing today. Solar Water Heating System, Rain Water Harvesting System, CFL  and plantation must be carried  out by December, 2008 and ETP by March, 2009 . As soon as these are confirmed, the decision on authorization will be taken. 
	Letter Issued
	Call on 29.01.2009
	____
	Call on 02.03.2009

	3
	Shanti Mukund Hospital, 2, Institutional Area, Vikas Marg Extension, Delhi-92
	144
	E-003
	07.11.07(Renewal)
	09.03.07
	1.Applied for renewal  of authorization on 07.11.07. Applied for Consent to Operate on 09.03.07 however noise monitoring  report was not submitted. for the DG Sets.
2. Letter issued. Reply received referring earlier submitted Consent to Operate application. Noise report submitted from RITES Limited which is not an approved laboratory from DPCC and results do not indicate Insertion Loss. Not Applied for Consent to Establish.
3. As decided in the meeting on 18.03.08, letter for deficiencies was issued.
4. Reply w.r.t letter issued on 25.4.2008 received
5. As per the general decision taken on 06.05.08, letter issued for installation of:
(a) Solar water heating system 
(b) Rain water harvesting system 
(c) Replacement of ordinary Bulbs with CFL 
(d)  ETP 
(e) Plantation of trees along side of the periphery of the Hospital building.
Reply w.r.t letter issued on 25.4.2008 received. 
8.As per the decision taken in the meeting on 13.06.08 the quantity of the waste water was ascertained by EE. Reply received.
	Call for personal hearing at 3.10 PM on 28.11.2008
	Letter issued
	The unit came for personal hearing today. Ask the unit to apply for Consent to Establish within a week and Solar Water Heating System, Rain Water Harvesting System, CFL and plantation must be carried out by December, 2008  and ETP by March, 2009. As soon as these are confirmed, the decision on authorization will be taken. 
	Letter Issued
	Issue final reminder for Consent to Establish and compliance of decision of 28.11.2008. Call on 29.01.2009.
	Reminder issued
	Call for personal hearing on 02.03.2009 at 3.00 PM.

	4
	Max Balaji Hospital, 108-A ,  IP Extension, Patparganj, Delhi-92
	134
	E-186
	20.09.07(Renewal)
	20.11.06(CO)18.03.08
(CTE) & 31.03.08 (CTE)
	1 CTE for increasing of bed strength has also been applied on 31.03.08. 2.As per the decision taken in meeting on 13.06.08 Consent to Establish granted for existing building and for new building unit is asked to submit information w.r.t. built up area, also compliance of the letter dated 26.05.08 asked.
3. Reply of the letter issued w.r.t. decision taken by the committee in its meeting held on 27.08.08 informing the compliance of directions issued.4Reply w.r.t. letter dated 17.10.08 received, informed that they have requested for adequacy report for ETP, placed order for SWH System, RWH System is already in place.
5. In respect of new bldg., replied that, SWH will be installed and built up area is approx. 15000-16000 sq.mtr., CGWA clearance will be taken. 11. Replyu dated 23.10.08 received stating that ETP already installed & requested GGSIPU for adequacy report.12. Reply dated 15.01.09 recevied stating that SWHS has been installed & also submitted Adcquecy report from GGSIPU dated 27.11.08. alongwith Effliuent test results
	During discussion with Dr. Chetna unit has confirmed that they will submit adequacy report of ETP within 1 month  solar water heating system  within 2 months. 
	Letter issued
	Time allowed  till 29.12.2008 ,for submission of adequacy report of ETP  and for installation & confirmation of Solar Water Heating System.  Call on 29.12.2008
	Letter Issued
	Dr. Chetna to speak. Call on 29.01.2009.
	Dr. Chetna spoken
	Call on 02.03.2009

	5
	Pushpawati Singhania Research Institute, Sheikh Sarai Ph-II , Press Enclave Marg, New Delhi-17
	114
	S-014
	02.06.06
	Applied for CTE on 12.08.08 
	1. The HCU was inspected on 18.12.07 and deficiencies were observed. 
2. As decided in the meeting on 18.03.08, letter for deficiencies issued. Reply received. 3. As per the general decision taken on 06.05.08, letter issued for installation of:
(a) Solar water heating system (b) Rain water harvesting system (c) Replacement of ordinary Bulbs with CFL (d)  ETP (e) Plantation of trees along side of the periphery of the Hospital building. Reply received 
4.Compliance of letter dated 26.05.08 seeked 5. Reply dated 12-06-08.w.r.t letter dated 02-05-08.informing about submitting the application for consent to establish and consent to operate within short time.
6.Reply dated 01.10.08 received regarding compliance of letter dated 26.05.08:(a)Quatations have been called from various venders for solar water heating system (b)Rain water harvesting system exists and functional.(c)90% work regarding replacement of ordinary bulbs with CFL has been completed.(d)For installation of ETP quatations have been called for.(e)Plantation of trees has been done.
	During discussion with Dr. Chetna unit has confirmed that they will install ETP  within 3 months, Solar Water heating system within 2 months and will submit CGWA clearance within one month.
	Letter issued
	 Solar Water Heating System must be installed  by December, 2008  and ETP by March, 2009 .   CGWA clearance to be submitted  by December, 2008.
	Letter Issued
	Call on 29.01.2009
	____
	Issue final reminder. Call on 02.03.2009

	6
	Saroj Hospital, 2,  Institutional Area, Sector 14 Extn. Rohini, Delhi -85
	111
	NW-006
	23.05.07
	11.04.07 Having CTE & also valid CTO
	1. HCU was inspected. BMW management found as per Rules.
2. Consent under air act and authorization under BMW rules issued as per decision taken by the committee on 15.11.07.
Letter  was Issued. Applied for Consent to Establish on 17.03.08 and as decided by the Committee Consent to Establish issued .
3.. As per the general decision taken on 06.05.08, letter issued for installation of:
(a) Solar water heating system (b) Rain water harvesting system 
(c) Replacement of ordinary Bulbs with CFL (d)  ETP 
(e) Plantation of trees along side of the periphery of the Hospital building.
4. Compliance of letter dated 26.05.08 seeked w.r.t. decision taken in meeting on 13.06.08 
4.Reply w.r.t. letter issued on 26.05.08.                                                    5.Reply recieved stating that installation of solar water heater is under process and for ETP installation excavation has been started .
	Reply received . Unit has confirmed that ETP  will be installed within 3 months and Solar water heating system and Rain water harvesting system will be installed within 1 month.
	Letter issued
	 Solar Water Heating System,  Rain Water Harvesting System must be installed  by December, 2008  and ETP by March, 2009 .
	Letter Issued
	Dr. Chetna to speak. Call on 29.01.2009.
	Dr. Chetna spoken
	Issue final reminder for full compliance. Call on 02.03.2009

	7
	Vidyasagar Institute of Mental  Health and Nuero Sciences, 1, Institutional Area, Nehru Nagar, New Delhi – 65
	110
	S-011
	06.11.07
	Applied for CTE on 21.08.08 & for CTR on 06.11.08
	 1. The HCU was inspected &  deficiencies were observed.   2. As decided in the meeting on 18.03.08, letter for deficiencies was issued. 3. Reply received along with late fees.4. Reply dated 12-06-08.w.r.t dated 29-05-08.was received along with copies of registrar ion certificate and noise monitoring report.  5. As per the general decision taken on 06.05.08, letter issued for installation of:
(a) Solar water heating system 
(b) Rain water harvesting system 
(c) Replacement of ordinary Bulbs with CFL 
(d)  ETP 
(e) Plantation of trees along side of the periphery of the Hospital building.
EE(BMW)  talked to the official (s) of the hospital .
6.Compliance w.r.t letter dated 26.05.08 received informing: Plantation is there, Water harvesting system is there, Taken permission from CGWA for 2bore wells, For Noise monitoring report fees of Rs.15,000/- submitted to DPCC, Effluent testing report is submitted, ETP will be installed shortly,. Reply received.As per the reply one month time is given ETP installation and solar water heating system installation
	Reply submitted . Unit will install ETP within three months, install Solar  Water Heating System  and submit Noise Monitoring Report of the DG sets within  one month,  
	Letter issued
	 Solar Water Heating System must be installed  by December, 2008  and ETP by March, 2009 .
	Letter Issued
	Dr. Chetna to speak. Call on 29.01.2009.
	Dr. Chetna spoken
	Issue final reminder. Call on 02.03.2009

	8
	Brahm Shakti Hospital & Research Centre, U-1/78, Budh Vihar, Rohini, Delhi – 41
	105
	NW-013
	25.10.04
	Applied for CTE
	1. Inspected on 08.11.07 and deficiencies found.2. Reply received in respect of SCN dated 13.12.07stated that the deficiencies rectified.
2.Letter Issued for  Consent to Establish application .3.Reply dated 13-06-08.received informing about rectifying the deficiencies pointed during inspection .
4. As per the general decision taken on 06.05.08, letter issued for installation of:
(a) Solar water heating system 
(b) Rain water harvesting system (c) Replacement of ordinary Bulbs with CFL (d)  ETP 
(e) Plantation of trees along side of the periphery of the Hospital building.
5. Reply of the letter issued w.r.t. decision taken by the committee in its meeting held on 14.07.08 received.
6.Reply regarding compliance of Five points received informing: Installed solar water heating system, installed rain water harvesting system, replaced ordinary bulbs with CFLs, For ETP installation quotations have been called for., Plantation is already there. 
	During discussion with Dr. Chetna unit has confirmed that they will install ETP within 3 months, Solar  Water Heating System  within one month and submit CGWA clearance within one month.Unit may be informed that CTE cannot be granted without ETP installation.
	Letter issued
	Unit to apply for Consent to Operate  by December , 2008  install ETP  by March, 2009.
	Letter Issued
	Issue final reminder for Consent to Operate and compliance of decision of 28.11.2008. Call on 29.01.2009.
	Reminder issued
	Call for personal hearing on 02.03.2009 at 3.10 PM.

	9
	R.L.K.C  Hospital ( A Unit of Dr. R.L.Khera Charitable Trust )   Pandav nagar, near . Shadipur Depot, Delhi 08
	104
	W-341
	14.03.06
	08.02.07(CTO)& 26.06.08(CTE)
	1. The HCU was inspected and deficiencies were found 2.Letter issued.3. Reply recieved on 15.04.08 informing about rectification of deficiencies,
5.Reply dated 13-06-08.w.r.t letter dated 26-05-08.about asking for time for doing the needful as directed was received .
6. As per the general decision taken on 06.05.08, letter issued for installation of:
(a) Solar water heating system 
(b) Rain water harvesting system 
(c) Replacement of ordinary Bulbs with CFL 
(d)  ETP 
(e) Plantation of trees along side of the periphery of the Hospital building.
6. letter issued as per decision taken in the meeting on 13.06.08. 
7.Deficiencies observed during inspection on 15.09.2008. 8. NMR for DG Set submitted.9. w.r.t letter dated 14.11.08 reply received dated 24.11.08, informed that patel nagar area does not fall in notified areas & CGWA permission is not necessary.Regarding ETP/STP quatations have been called for. 
	Unit came for personal hearing today. It has been assured that installation of ETP will be done within three months and submit CGWA clearance  within one  month. Call on 28.11.2008.
	Letter issued
	  ETP must be insatalled  by March, 2009 .CGWA clearance /  reply from CGWA to be submitted by December 2008. 
	Letter Issued
	Call on 29.01.2009
	____
	Issue final reminder. Call on 02.03.2009

	10
	City Hospital,B-1/1, N.E.A. Pusa Road, New Delhi-60
	102
	C-101
	26.05.08
	22.11.06 03.04.2008(CTE)
	1. The HCU was inspected deficiencies were observed.2. Letter issued.
3. Applied for authorization on 26.5.2008. .4. Applied for CTE on 03.04.08
5. As per the general decision taken on 06.05.08, letter issued for installation of:
(a) Solar water heating system (b) Rain water harvesting system 
(c) Replacement of ordinary Bulbs with CFL (d)  ETP (e) Plantation of trees along side of the periphery of the Hospital building.EE(BMW)  talked to the official (s)of the hospital .
8. Reply of letter dated 26.05.08 received.
9. Reply of the letter issued w.r.t. decision taken by the committee in its meeting held on 13.06.08 received.
 
	 No reply received . During discussion with Dr. Chetna, unit has confirmed that they will install ETP within three months time, and install Rain Water Harvesting System within one month. 
	Letter issued
	  Rain Water Harvesting System must be provided  by December, 2008  and ETP by March, 2009 .
	Letter Issued
	Call on 29.01.2009
	____
	Issue final reminder. Call on 02.03.2009

	11
	Bensups Hospital, Near K.M. Chowk, Sector-12, Dwarka, Delhi - 75 (B.R.Dhawan Charitable Trust)
	100
	SW-147
	22.02.07
	22.02.07 (CTO)and Applied CTE on 29.02.08
	1. HCU has applied for Authorization and CTE and CTO .2. HCU was inspected & deficiencies were observed  3.As decided in the meeting on 18.03.08, letter for deficiencies was issued.4.Reply received and has informed that the HCU is registered for 60 beds and ETP will be installed in the hospital on extension of the bed strength from 60 to 100, affidavit in this regard has been submitted. 
5. As per the general decision taken on 06.05.08, letter issued for installation of:
(a) Solar water heating system 
(b) Rain water harvesting system 
(c) Replacement of ordinary Bulbs with CFL 
(d)  ETP 
(e) Plantation of trees along side of the periphery of the Hospital building.
6. As per the decision taken in meeting on 13.06.08 CTE granted and EE ascertained the waste water generation. 
	No reply received . During discussion with Dr. Chetna, unit has confirmed that they will install ETP within three months time, and submit CGWA clearance within one month.
	Letter issued
	  ETP  must be installed by  March, 2009  and CGWA clearance to be submitted by December ,2009..
	Letter Issued
	Call on 29.01.2009
	____
	Issue final reminder. Call on 02.03.2009

	12
	Delhi Heart and Lung Institute, 3-M.M II ,Panchkuian Road,N.Delhi-55
	100
	C-029
	04.09.04
	19.3.2008(CTE) Applied for CTO on 15.05.2008
	1. As per the general decision taken on 06.05.08, letter issued for installation of:
(a) Solar water heating system 
(b) Rain water harvesting system 
(c) Replacement of ordinary Bulbs with CFL (d) ETP 
(e) Plantation of trees along side of the periphery of the Hospital building.
2. EE(BMW)  talked to the official (s) of the hospital .6. Reply dated 16-06-08.received regarding doing the needful as directed in the letter dated 26-05-08 7. Inspected on 15.09.08 and deficiencies observed. 8. Fax letter dated 04.10.08 received alongwith Noise Monitoring Report meeting the insertion law.
	During discussion with Dr. Chetna unit has confirmed that they will install ETP within 3 months, Solar  Water Heating System and Rain Water Harvesting System within one month and submit CGWA clearance within one month. 
	Letter issued
	Call for personal hearing on 29.12.208 at 3.00 PM.
	Letter Issued
	The unit came for personal hearing today. Unit will install the Rain Water Harvesting System within one month and Effluent Treatment Plant (ETP) by 31st March, 2009 and submit interim report by 29.1.2009. Call on 29.01.2009. 
	Letter issued
	Issue final reminder. Call on 02.03.2009

	13
	Devki Devi Foundation ( Max Devki Devi Heart & Vascular Institute ) 2, Press Enclave Road, Saket, New .Delhi -17.
	193
	S-275
	Applied  
	26-9-06
	
1. Inspected on 12.07.08  deficiencies found. 2. Letter submitted by HCU on 14.7.2008 with photograph regarding removal of deficiencies.
3. As per the general decision taken on 06.05.08, letter issued for installation of:
(a) Solar water heating system 
(b) Rain water harvesting system 
(c) Replacement of ordinary Bulbs with CFL 
(d)  ETP 
(e) Plantation of trees along side of the periphery of the Hospital building. 4. Pointwise reply of letter dated 26.05.08 received regarding doing the needful as directed.
4. Letter was issued  as decided on 29.09.08. unit  Informed regarding placing order for SWH System which is likely to be operational by Dec. 2008.5. Reply date d24.12.08 received stating that RWHS system has been upgraded & SWHS will be operational by end january 09.
	As per letter  submitted unit will install Rain Water Harvesting System  and Solar  Water Heating System within one month. 
	Letter issued
	Confirm installation of Solar Water Heating System  and upgradation of  Rain Water Harvesting System  within a month , by December , 2008.M15
	Letter Issued
	Authorization under BWM Rules granted.  Call on 29.01.2009.
	Authorization issued
	Issue final reminder . Call on 02.03.2009

	14
	Max Super Specialty Hospital, 1,Press Enclave Road,Saket, New Delhi-17 
	104
	S-266
	14.03.06
	Consent (Operate) Valid upto 30-10-10. Applied for CTE on 23.09.08
	1.Authorization granted and valid upto 30-10-10.                  2.Consent (Operate) Valid upto 30-10-10. Not applied for CTE.
3. Applied for CTE.
4. Reply of the letter issued w.r.t. decision taken by the committee in its meeting held on 14.07.08 received, submitted the reply 5.  Personal hearing was given on 30.10.08.Reply received and informed that placed order for SWH System. Reg. EC, notification of MOEF dated  07.07.2004 has been quoted and claimed that said notification is not applicable.
7. Reply received w.r.t decision taken on 30.10.08.
	Regarding Environmental Clearance ,documentary proof for exemption from EC / affidavit  be asked. Solar  Water Heating System , Rain Water Harvesting System  to be installed within one month, adequacy report of ETP  and CGWA clearance to be submited with one month. 
	Letter issued
	 Unit to submit confirmation of Solar Water Heating System , Adequacy report of ETP and   documentary proof regarding exemption from   Environmental Clearance ,  within one month, by December, 2008.
	Letter Issued
	Issue reminder for submission of adequacy report of ETP from an empanelled consultant of DPCC and ask the unit to file completion certificate of the premises. Call on 29.01.2009.
	Reminder issued
	Issue final reminder . Call on 02.03.2009

	15
	Jessa Ram Hospital (A unit of R.B.Seth Jessa Ram & Bros Charitable Hospital)  WEA Karol Bagh,New Delhi -05
	79
	C-008
	12.03.07
	07.11.05 & 30.10.07 23.5.2008(CTE)
	1. The HCU was inspected & deficiencies observed. 2. Applied for Consent to Establish
3. As decided in the meeting on 18.03.08, letter for deficiencies was issued.4. Reply recieved
5.As per the general decision taken on 06.05.08, letter issued.
6.Reply dated 10-06-08. with reference to our letter dated 26-05-08 .informing about doing the needful as directed .
7.EE(BMW)  talked to the official (s) of the hospital .
8.As per the decision taken on 13.06.08 CTE issued and also compliance w.r.t letter dated 26.05.08 seeked.
9.Compliance of letter dated 26.05.08 received.
10.Deficiencies were observed during inspection on 15.9.2008.11. Reply recieved , informed regarding rectification of deficiencies and have stated that they will update and inform status of installation of ETP within 2-3 weeks. Letter dated 19.11.08 received and requested to review the decision for ETP installation since having less than 100 beds, or extend the time for installation of ETP.
	Unit to be asked to install ETP by end of December 2008 without fail. 
	Letter issued
	 Solar Water Heating System,  Rain Water Harvesting System must be installed  by December, 2008  and ETP by March, 2009 .
	Letter Issued
	Call on 29.01.2009
	____
	Issue final reminder. Call on 02.03.2009

	16
	Shroff Charity Eye Hospital, 5027, Kedar Nath Road ,Daryganj, New Delhi-02
	56
	C-011
	26.05.06
	22.09.06(CTO)&09.06.08 ( CTE)
	1. HCU applied for renewal of authorization on     26.05.06. 
3. HCU was inspected on 14-8-2006 during which BMW management found as per rule. 
4.HCU has applied under Air Act on 22-9- 2006(C/114) but noise monitoring report    of DG sets ( 100, 75,125 KVA) not submitted. 5.Inspected on 05.11.07 Management was    found satisfactory, however Biohazard  symbol not provided at isolated storage.
6. As decided in the meeting on 18.03.08, letter for deficiencies was issued.  7. HCU replied that deficiencies have been rectified.
8.Reply dated 18-06-08.along with waste water taste report received .
9. EE(BMW)  talked to the official (s) of the hospital .
10. As per the decision taken in meeting of 13.06.08 CTE issued and also compliance w.r.t. letter dated 26.05.08 not received.
reply recieved  asking for  exemption from ETP installation. as it is a 79 bedded hospital. 11. Letter dated 23.12.08 requesting/ grant for installation of RWHS saying that it will cost them rupess 45 Lakhs. 12. Letter dated 06.01.09 received giving reference of the earlier letter. 
	Since it is an Eye Hospital,  ETP is not required to be installed and one month time is given for installation of Solar  Water Heating System  and Rain Water Harvesting System. 
	Letter issued
	 Solar Water Heating System and  Rain Water Harvesting System must be installed  by December, 2008 .
	Letter Issued
	The unit may be asked to contact Mrs. Cheema, Consultant Public Relation in DJB for getting the required subsidy for installation of Rain Water Harvesting system. They may also contact other agencies like M/s Ramky, Centre for Science & Environment etc. for setting up the Rain Water Harvesting structure, which cannot cost Rs. 45 Lakhs. Call on 29.01.2009.
	Letter issued
	Inform HCU that Rain Water Harvesting  gets 50 % subsidy from DJB and other compliance will be carried out by 02.03.2009. Call on 02.03.2009

	17
	MGS Hospital, West Punjabi Bagh , Rohtak Road, New Delhi,-26
	100
	W-008
	21.01.08
	 08.02.08 
	1. The HCU was inspected on 11.01.08 & deficiencies observed.
2. As decided in the meeting on 18.03.08, letter for deficiencies was issued.
3.Reply received. Applied for consent to Establish on 22.05.08
4. As per the general decision taken on 06.05.08, letter issued for installation of:
(a) Solar water heating system 
(b) Rain water harvesting system (c) Replacement of ordinary Bulbs with CFL 
(d)  ETP 
(e) Plantation of trees along side of the periphery of the Hospital building.
EE(BMW)  talked to the official (s) of the hospital .
5. As per the decision taken in meeting of 13.06.08 CTE issued and also EE checked the waste water generation and no of trees planted.
6. Reply dated 03.01.09 received giving pointwise compliance, SWHS-installed,RWHS-under process,CGWA Clearance-applied,ETP-tendering have been done, order have been placed with in a week.
	During discussion with Dr. Chetna unit has confirmed that they will install ETP within 3 months, Solar  Water Heating System , Rain Water Harvesting System within one month and submit CGWA clearance within one month. 
	Letter issued
	 Solar Water Heating System,  Rain Water Harvesting System must be installed  by December, 2008  and ETP by March, 2009 . CGWA clearance to be submitted by December, 2008.
	Letter Issued
	Call on 29.01.2009
	____
	Issue final reminder for full compliance. Call on 02.03.2009

	18
	Kalra Hospital, A- 5 & 6, Kirti Nagar, New Delhi-15
	100
	W-012
	04.06.07
	CTO valid upto 14.09.09. & applied for CTE on 29.01.09.
	1. HCU applied for renewal of authorization on 04.06.07. 2. Consent to Operate under Air Act is valid upto 14-9-2009. 
.4. The HCU was inspected & deficiencies were observed.
5. As decided in the meeting on 18.03.08, letter for deficiencies was issued.
6. Letter dated 26-05-08 was issued. 7. As per the general decision taken on 06.05.08, letter issued for installation of:
(a) Solar water heating system 
(b) Rain water harvesting system 
(c) Replacement of ordinary Bulbs with CFL 
(d)  ETP 
(e) Plantation of trees along side of the periphery of the Hospital building.

8.Reply dated 11-06-08.w.r.t letter dated 26-05-08.informing about during the needful as directed received.
9. Deficiencies were observed during inspection on 15.9.2008. 
10 Personal hearing was given on 30.10.08.                                                                                         11. Reply dated 03.01.09 received stating that CTE will be applied shortly, quotations are finalized for installation of SWHS & ETP.  and another reply dated 22.01.09 received.
	Unit came for  personal hearing today . Representative  says he will file CTE within 10 days.  It was also assured that the ETP & Solar  Water Heating System will be installed within 3 months. Call on 28.11.2008
	Letter issued
	Issue final reminder for CTE within 15 days.  Solar Water Heating System must be installed  by December, 2008  and ETP by March, 2009 .
	Letter Issued
	Dr. Chetna to speak. Call on 29.01.2009.
	Dr. Chetna spoken
	Issue final reminder for full compliance. Call on 02.03.2009

	19
	Max  Hospital ( A unit of Max Health Care Institute Ltd.) HB Twin Towers, A 2,3,&4, Netaji Subash Place, Wazirpur, Distt. Centre, Delhi-34
	92
	NW-017
	29.12.06(Renewal)
	17.01.08 (CTO), 18.3.2008- CTE
	1. Applied for renewal of authorization on 29.12.06.  2. Inspected on 08.11.07 and deficiencies were found.
3.SCN issued for the above  4. Reply received regarding rectification measures taken.
5. Letter issued seeking Consent to Establish application, applied for Consent to Establish on 18.3.2008. 6. Inspection conducted.Waste water test repot for the treated effluent from the ETP has been asked from the HCU. 7.As decided in the meeting on 18.03.08, letter for deficiencies was issued.Test report received .  
6. EE(BMW)  talked to the official (s) of the hospital.
7. As per the decision taken in meeting on 13.06.08 Consent to Establish issued. Letter issued. Regarding built up area etc. the matter was submitted in file. Reply not received.
8. Reply of the letter issued w.r.t. decision taken by the committee in its meeting held on 14.07.08.CGWA clearance not submitted, informing water supply is being provided by M/s QR properties to them. 9. Reply recieved w.r.t. letter dated 13.10.08 and informed that they have placed order for SWH system and have requested for adequacy report of ETP.
.Personal hearing was given on 30.10.08. 9. Rreply dated 15.01.09 recevied stating that SWHS has been installed & also submitted Adcquecy report from GGSIPU dated 27.11.08. alongwith Effliuent test results
	Unit  came for personal hearing today. Solar  Water Heating System is assurded to be installed by December 2008.
	Letter issued
	 Solar Water Heating System must be installed  by December, 2008.
	Letter Issued
	Dr. Chetna to speak. Call on 29.01.2009.
	Dr. Chetna spoken
	Call on 02.03.2009

	20
	National Heart Institute, 49- 50, Community Centre, East of Kailash, New Delhi-65
	80
	S-069
	07.03.07
	 Applied for CTE on
15.07.08
	1.  Applied for Consent to Establish
2. HCU was inspected and deficiencies were found.
3. As decided in the meeting on 18.03.08, letter for deficiencies was issued.   
4. EE(BMW)  talked to the official (s) of the hospital.
5.Reply w.r.t. direction issued on 14.08.08 received.
6. Copy of a letter asking Shriram laboratory for collection of sample of STP water for analysis, CGWA certificate enclosed.
	During discussion with Dr. Chetna unit has confirmed that  ETP will be installed within 3 months and noise monitirong report and CGWA clearance shall be submitted within one month. 
	Letter issued
	 Noise Monitoring report by December, 2008  and ETP by March, 2009 .
	Letter Issued
	Dr. Chetna to speak. Call on 29.01.2009.
	Dr. Chetna spoken
	Issue final reminder. Call on 02.03.2009.

	21
	Sitaram Bhartia Institute of Science & Research, B-16, Qutub Institutional Area, New Delhi – 16
	71
	S-051
	11.10.07
	11.10.07  29.04.08(CTE)
	1. HCU had submitted the applications for Renewal of authorization under BMW Rules and for consent under Air Act.
2. The HCU was inspected & BMW mgt found as per rule.
3. As decided in the meeting on 18.03.08, letter was issued.
4. Applied fo CTE on 29.04.08.
5.Reply dated 20-05-08.was received .regarding submission of balance fee of 2years  for the authorization amount.
6. EE(BMW)  talked to the official (s) of the hospital .
7. Reply received in response to letter dated 02.05.2008. NMR , stack monitoring report of boiler and effluent analysis report (without parameters of BOD and Bio assay Test) submitted.
8. CTE issued.  Authorization issued.Reply w.r.t. letter dated 26.05.08 received.
     
	The unit is required to confirm installation of Solar  Water Heating System   within one month , without fail.
	Letter issued
	 Solar Water Heating System must be installed  by December, 2008 .
	Letter Issued
	Call on 29.01.2009
	____
	Issue final reminder . Call on 02.03.2009

	22
	Deepak Memorial Hospital, 5, Institutional Area,  Vikas Marg Extn. 2 , Delhi-92
	60
	E-006
	19.02.07
	29.5.2008(CTE)     29.5.2008(CTO)
	1. Inspected on 01.01.08 and deficiencies were found
2. As decided in the meeting on 18.03.08, letter for deficiencies was issued.  3.As per the general decision taken on 06.05.08, letter issued.
4. Reply dated 17-06-08.w.r.t dated 25-04-08.regarding authorization under BMW rules received.
5. EE(BMW)  talked to the official (s) of the hospital .6.HCU applied for CTE & CTO.
7.As per the decision taken on 13.06.08 Affadavit for correction of deficiencies asked.
8. Inspected by SIT. As decided  on 28.11.08.letter issued for the deficiencies.Reply dated 05.01.09 received stating that hospiatl is purposed to bulid a 300 bedded super speciality Hospital in place of the existing building. The proposal for the setting up the ETP is included in the building plan and CTE application will be submitted at the earliest.
	SIT to inspect.Call on 28.11.2008.
	Inspected.
	SIT  inspection report indcates ETP should be installed. Time allowed till  march, 2009. Inform unit accordingly.
	Letter Issued
	Dr. Chetna to speak. Call on 29.01.2009.
	Dr. Chetna spoken
	Call on 02.03.2009 with interim report.

	23
	Nazar Kanwar Surana Hospital(A Unit of Bram Health Care (P) LTD), 219/220, N.K. Surana Marg, Gulabi Bagh, Delhi - 07
	60
	N-095
	05.05.06
	Applied for CTE & CTO both on 05.09.08
	1. Inspected on 02.01.08 and deficiencies found.
2. Letter issued on 15.02.08 seeking application for Consent to Establish  & for correction of Deficiencies. However  reply was not received.
3 As decided in the meeting on 18.03.08, letter for deficiencies was issued.
4.Reply dated 12-06-08.w.r.t phone  call from Mr.singh on 11-06-08.regarding action taken report.5 Reply received
6. Reply of the letter issued w.r.t. decision taken by the committee in its meeting held on 14.07.08 received alongwith affidavit for correction of deficiencies. 7. Inspectedc by SIT on 30.10.08 & letter  for deficiencies was issued as decided on 30.10.08.. Personal hearing was given on 29.12.08. 
	The unit is not having sewer connection. They are required to instal ETP for which 3 months time is given, one month time is given for Rain Water Harvesting System , Solar  Water Heating System  and for submiting CGWA clearance. Unit  be also asked to file complaince to the deficiencies observed during inspection on 30.10.2008. 
	Letter issued
	Call for personal hearing on 29.12.208 at 3.10 PM.
	Letter Issued
	The unit did not come for personal hearing today.  Dr. Chetna to speak.  Call on 29.01.2009.
	Dr. Chetna spoken
	Issue final reminder. Call on 02.03.2009

	24
	Venu Eye Institute & Research Centre, 1/31, Institutional Area, Phase – 2 ,  Sheikh Sarai, New Delhi-17
	60
	S-017
	18.09.06
	16.03.07 Applied for CTE on  9.07.08 
	1. Inspected & BMW mgt found as per rule except that bio-hazard symbol at isolated storage site was not provided.
2. Letter issued. Reply  received informed regarding rectification of deficiencies . 3. EE(BMW)  talked to the official (s) of the hospital                   4. CTE applied
5.Noise monitoring report submittd. 
	The unit to file Noise Monitoring Report of the DG Set(s) and CGWA clearance  within a month, without fail.
	Letter issued
	Noise Monitoring Report and  CGWA clearance to be submitted within a month.
	Letter Issued
	Dr. Chetna to speak. Call on 29.01.2009.
	Dr. Chetna spoken
	Call on 02.03.2009

	25
	Jeewan Hospital & Nursing Home Pvt. Ltd., Gali No.1  Jeewan Nagar, New Delhi-14
	60
	S-016
	04.01.08
	 04.01.08 (CTO)      02.09.08 (CTE)
	1. HCU was inspected & deficiencies were observed.SCN Issued.
2. After the inspection the unit has applied for Authorization & informed regarding rectification measures taken. A letter received regarding deficiencies rectified.  3. Applied for Consent to Operate. under Air Act.As decided in the meeting on 18.03.08.
4.Reply dated 17-06-08.regarding renewal of authorization 
5. EE(BMW)  talked to the official (s) of the hospital .
   
	Call on 28.11.2008
	       -----
	Issue Consent to Establish subject to the condition  that unit will install ETP by March, 2009.
	CTE Issued
	Ask the unit to submit interim report . Call on 29.01.2009. 
	Letter issued
	Issue final reminder. Call on 02.03.2009

	26
	Red Cross Maternity & Child care Hospital,  New Seemapuri, Delhi-95
	57
	NE-006
	09.04.07
	03.03.2008(CTE) & Applied for CTO on 3.12.08
	1. HCU applied for renewal of authorization on 9-4-2007.  2. Applied for Consent to Establish.
3.HCU was inspected and deficiencies were found.4 .As decided in the meeting on 18.03.08, letter for deficiencies was issued.
5. Replied on 26.5.2008. The unit still has not submitted CTO application and NMR.
6.As per the decision taken on 13.06.08 Letter for correction of deficiencies issued. Reply received.
7. Reply of the letter issued w.r.t. decision taken by the committee in its meeting held on 14.07.08 received. Desired noise monitoring report not submitted.8. CTE Granted
                                                                                
	During discussion with Dr. Chetna unit has confirmed that they will submit Noise Monitoring Report of the DG Set(s) from DPCC approved laboratories and provide waste water generation details within a month .
	Letter issued
	Call for personal hearing on 29.12.208 at 3.20 PM.
	Letter Issued
	The unit came for personal hearing today. Unit directed to submit  the required documents asked vide earlier letters issued to the unit by 29.01.2009. Call on 29.01.2009.
	Letter issued
	Issue final reminder. Call on 02.03.2009

	27
	Metro Hospital & Cancer Institute ( Earlier Anand Hospital,) 21, Community Centre, Preet Vihar, Delhi-92
	52
	E-007
	06.08.2007
	Applied (CTE on 01.07.08)
	1. HCU applied for renewal of authorization on 25-7-2005. 2. From the same premises an application for authorization under BMW Rules has been received in the Name of Metro Hospital & Cancer Institute ( A Unit of Anand Health Care LTD.) on 06.08.2007( having 70 beds).
3. Inspected on 01.01.08. as informed the hospital have sold out to Metro Hospital & Cancer Institute since Jan.2006. Deficiencies were observed during inspection.
4. As decided in the meeting on 18.03.08, letter for deficiencies was issued.
5.Reply dated 13-06-08.w.r.t letter dated 25-04-08.was  received asking for a week time .
 6. Applied for Consent to establish and Consent to Operate.
7. EE(BMW)  talked to the official (s) of the hospital .8. CTE Granted
8.inspected by SIT letter issued as decided on 28.11.08.
9. Reoly dated 03.01.09 received stating thatthey are in the process of buying an ETP unit for the hospital, phasing out mercuy based instrument have been initiatied. 
	SIT to inspect.Call on 28.11.2008.
	Inspected.
	Ask the unit to apply for Consent to Establish and as per SIT inspection report ETP to be installed. Time allowed till March, 2009. Inform unit accordingly.
	Letter Issued
	Ask the unit to submit interim report . Call on 29.01.2009. 
	Letter issued
	Issue final reminder. Call on 02.03.2009

	28
	Jeevan Anmol Hospital, Mayur Vihar Phase-I , Delhi-91
	51
	E-015
	15.01.09
	19.11.07(CTO) 12.06.08 (CTE)
	1. The HCU applied for authorization on  23-3-2004(C/47),  provisional authorization  was granted which expired on 23-3-2005(C/49) thereafter not applied for Authorization under BMW Rules. 2.  HCU was inspected on 13-10-2005 and BMW management found as per rule(C/54) except adequate stack height with DG sets. 
3. A letter was sent on 3-5-2006(C/55) wherein they were directed to install the adequate stack height and informed that stack has been increased.(C/58). 
4. Application received for consent, however noise monitoring report for DG Sets not submitted.
5. Inspected on 01.01.08. During the inspection deficiencies were found.
6. As decided in the meeting on 18.03.08, letter for deficiencies was issued.Applied for CTE.
7. EE(BMW)  talked to the official (s) of the hospital .
8. As per the decision taken on 13.06.08 Consent to Establish issued. Reply w.r.t letter dated 26.05.08 received.
9.Reply received of the letter dated 09.07.08
 10. Personal hearing given on 28.11.08and letter issued as decided.11. applied for renewal of Authorization on 15.01.09, SWHS will be installed,
	Call for personal hearing at 3.20 PM on 28.11.2008
	Letter issued
	The unit came for personal hearing today. Ask the unit to apply for renewal of authorization under BMW Rules within a week and Solar Water Heating System, Rain Water Harvesting System must be installed  by December, 2008  and ETP by March, 2009. As soon as these are confirmed, the decision on+M35 authorization will be taken. 
	Letter Issued
	Ask the unit to apply for renewal of authorization under BMW Rules and Dr. Chetna to speak. Call on 29.01.2009
	Authorization applied on 15.01.09 
	 Call on 02.03.2009

	29
	Park Hospital, 12, Meera Enclave (Chowkhandi) Near Keshavpur Depot, Outer Ring Road, New Delhi-18
	100
	W-326
	24.07.07
	25.07.07(operate) &14.03.08( Establish) &10.06.08(Establish)
	1. rectification of the deficiencies observed during the inspection.  Submitted Affidavit that  another DG Set (Old One ) with acoustic enclosure however not working/ Operation.2.. Letter for deficiencies issued on 21.04.08. .3. Letter issued, as per the general decision taken on 06.05.08, for installation of:(a) Solar water heating system (b) Rain water harvesting system 
(c) Replacement of ordinary Bulbs with CFL(d) ETP (e) Plantation of trees along side of the periphery of the Hospital building.
4..w.r.t letter dated 26-05-08 reply was received mentioning inability to put rain water harvesting system .
5.. Again submitted consent to establish on 10.06.08.12. Reply received,informed that Solar Water Heating System had been installed,ETP will be installed. Regarding rain water harvesting it is informed that Building is of old period & at that time rain water harvesting was not mandatory. 
6. Personal Hearing was given on 30.10.08.& letter was issued as decided.                         7  . Reply dated 06.01.09 received alongwith Noise Mointering report & CGWA Clearancce.
	Unit came for  personal hearing today . It assured installation of  ETP within 3 months and CGWA clerance within 1 month. Unit will submit  Noise Monitoring Report for the 3rd DG set within a month. Call on 28.11.2008.
	Letter issued
	 Noise Monitoring report and CGWA clearance to be submitted   by December, 2008  and ETP by March, 2009 .
	Letter Issued
	Ask the unit to submit interim report and Dr. Chetna to speak. Call on 29.01.2009
	Letter issued
	Issue final reminder for full compliance. Call on 02.03.2009

	30
	Bhatia Global Hospital  307-308, Ambica Vihar, New Delhi-87
	50
	W-007
	05.08.04
	 Applied (CTE on 23.06.08) & CTO (but fee not submitted)
	1. The HCU was inspected & deficiencies were observed.
2.  As decided in the meeting on 18.03.08, letter for deficiencies was issued.
3. Applied for Consent to Establish/ Operate (fee for CTO not submitted ).
4. EE(BMW)  had talked to the official (s) of the hospital .
	No reply recveived. Unit to install ETP within 3 months and submit Noise Monitoring Report of the DG Set(s) and CGWA clearance within one month.
	Letter issued
	Call for personal hearing on 29.12.2008 at 3.30 PM.
	Letter Issued
	The unit came for personal hearing today. Unit directed to submit  the required documents asked vide earlier letters issued to the unit by 29.01.2009. Call on 29.01.2009.
	Letter issued
	Issue final reminder. Call on 02.03.2009

	31
	Surya Hospital, 388/11-C, East Azad Nagar, Delhi-51.
	55
	E-013
	Applied for Renewal of authorization on 11.6.2008.
	 23.06.08( CTO & CTE.both)
	1. Inspected on 01.01.08 and some deficiencies were observed.  
Letter Issued. Reply received.  Informed regarding management of BMW as per instructions. Noise monitoring report submitted for 125 KVA DG Set & informed regarding removal of 50 KVA DG Set  Applied for Consent to Establish & Consent to Operate on 23.06.08. As decided in the meeting on 18.03.08, letter for deficiencies was issued. 6.Applied for authorization under BMW rules on 11-06-08. 
7 EE(BMW)  talked to the official (s) of the hospital 8.Letter stating that it is a small unit and space is much less and financially it may not be viable proposition to install ETP received.     Reply received w.r.t letter issued earlier and informed that stopped the use of ground water and quotations are being received for ETP.8. Reply dated 28.01.09 received sating that theirs is a small HCE and also they have applied for registration of 40 beds with DHS.
	Unit to install ETP within 3 months and file an affidavit regarding stoppage of usage of ground water.
	Letter issued
	Call for personal hearing on 29.12.2008 at 3.40 PM.
	Letter Issued
	The unit came for personal hearing today.  Unit may be asked to install the new technology using the enzyme treatment for treatment of waste water. Call on 29.01.2009. 
	Letter issued
	Call for personal hearing on 02.03.2009 at 3.20 PM.

	32
	Kukreja Hospital & Heart Centre, C-1, Vishal Enclave, New Delhi-27
	103
	W-018
	18.01.08(rEnewal)
	27.11.07(operate) & 13.03.08(Establish)
	1.Applied for renewal of authorization On 18.01.08  2. Applied for Consent on 27.11.07 , however  noise monitoring report for DG Set not submitted. Submitted fee for noise monitoring.
3. The HCU was inspected &  deficiencies were observed. 
4. Letter issued. Reply received Applied for Consent to Establish. 
 Informed regarding noise monitoring conducted by DPCC. & also about rectification of the deficiencies.Test report asked for the waste water not   submitted. 
5.. As per the general decision taken on 06.05.08, letter issued for installation of (a) Solar water heating system (b) Rain water harvesting system (c) Replacement of ordinary Bulbs with CFL (d) ETP (e) Plantation of trees along side of the periphery of the Hospital building.
EE(BMW)  talked to the official (s) of the hospital . Reply received.
7. CTE issued as decided on 13.06.08.     8. Personal hearing was given on 30.10.08 and letter issued as decided.
	Unit came for  personal hearing today .  Representative of the unit assured that ETP will be installed within 3 months ,CGWA  clearance within a month and l Solar Water Heating System within one month. Call on 28.11.2008
	Letter issued
	Dr. Chetna to speak to M.S.. of the  Hospital  for doing  the needful.
	Dr. Chetna to spoken
	Call for personal hearing on 29.01.2009 at 3.00 PM.
	Letter issued
	The unit came for personal hearing today. It claims that it has completed all the requirements and will file an affidavit in this regard. Call on 02.03.2009

	33
	Jivodaya Hospital, Ashok Vihar, Phase-1, Delhi-52
	65
	NW-014
	29.01.08
	04.02.08(CTO)    05.05.2008(CTE)
	1Applied for renewal of authorization on 29.01.08 .
3. Inspected on 02.01.08 and deficiencies observed:
- Advised to apply for consent under Air Act. 
4. Applied for Consent to Operate on 04.02.08. Old  Noise monitoring report for DG Sets( 125 & 43 KVA) submitted along with the Consent Application.
5 .As decided in the meeting on 18.03.08, letter for deficiencies was issued.
6. Applied for Consent to Establish  on 05.05.08 
7.NO Reply    8. EE(BMW)  talked to the official (s)
of the hospital.
9. As per the decision taken on 13.06.08 Consent to Establish issued. Reply w.r.t letter dated 26.05.08   received.
Letter /representation received. 10. The unit was inspected by SIT on 30.10.08. and letter was issued as decided on 30.10.08. 11. Reply dt. 17.12.08 received stating that SWHS Installation is complete, RWHS will be complete within a week.labels in hindi have been put on the BMW dustbins.
	The HCU to submit the analysis report of the waste water discharge in the sewer and install Solar  Water Heating System  , Rain Water Harvesting System  within a month and submit compliance of the deficiancies observed during inspection on 30.10.2008
	Letter issued
	Solar Water Heating System  and compliance of deficiencies by Dec Dr. Chetna to speak regarding Rain Water Harvesting System
	Letter Issued
	Call on 29.01.2009
	____
	Consent to Establish Granted.Authorization under BMW Rules Granted.

	34
	Mai Kamliwali Hospital, J-block, Community Centre, Rajouri Garden, New Delhi-27
	50
	W-022
	 24.09.07
	CTO Not Applied. Applied for CTE on 29.09.08
	1 Applied for renewal of authorization on 24.09.07.
3. The HCU was inspected some deficiencies are observed.
4. Letter issued on 15.02.08. Reply received. Not Applied for Consent to Establish. 
5.  As decided in the meeting on 18.03.08, letter for deficiencies was issued.
6.Reply dated 12-06-08.received Informing about  rectifying the deficiencies observed during inspection.
8. EE(BMW)  talked to the official (s)of the hospital. Reply received.
9.Reply dated 04.10.08 regarding compliance of 26.05.08 decision received informing: CTE submitted, Solar Water Heating System will be installed shortly as order been placed, Jt. Director (building) DDA has been approached for installation of Rain Water Harvesting system, ordinary bulbs have been replaced with CFL, ETP is under consideration, Plantation of trees has been carried out, and order for DG set- sound proof with acoustic enclosure have been placed.10. Reply received dt. 12.12.08 asking for exemption from ETP installation, Submitted the copy of agreement with synergy.13. Reply dated 01.01.09 w.r.t letter dated 23.12.08 received stating SWHS installation will be completed within a weak.
	Call for personal hearing at 3.30PM on 28.11.2008
	Letter issued
	The unit came for personal hearing today. Ask the unit to apply for Consent to Operate within a week and Solar Water Heating System,  Rain Water Harvesting System must be installed  by December, 2008  and ETP by March, 2009 . As soon as these are confirmed, the decision on authorization will be taken. 
	Letter Issued
	Dr. Chetna to speak. Call on 29.01.2009.
	Dr. Chetna spoken
	Call on 02.03.2009

	35
	Shree Jeewan Hospital, 67/1, New Rohtak Road, Delhi -05
	52 nos.
	W-024
	29.06.05 & on 03.03.08
	03.03.08 (CTO) 30.07.08 (CTE)
	1The HCU applied for renewal of authorization on 29-6-05 & on 03.03.08
2.Hospital was inspected on 27.09.2006.
3. HCU had not applied for consent under Air Act. Having DG Set of 75 KVA with acoustic enclosure. 
4. The HCU was inspected & some deficiencies were observed.
5.Letter issued 0n 15.02.08. Reply received.  Applied for Consent to  operate however not applied for Consent to Establish. Informed regarding rectification of the deficiencies. 7.  As decided in the meeting on 18.03.08, letter for deficiencies was issued.
6.Reply dated 29-04-08.w.r.t letter dated 21-04-8 regarding submission of  documents related to consent under air / water acts was received.
7.Personal hearing was given on 30.10.08 & It  was dedided that unit to file CGWA clearnace within 1 month and  ETP is not required. 8. submitted CGWA Clearance / cerificate of registarion from CGWA. on 07.01.09.
	Unit came for  personal hearing today .  It will file CGWA clearnace within 1 month . ETP is not required. Call on 28.11.2008 
	Letter issued
	Unit to  submit CGWA clearance  within one month i.e.  by December , 2008.
	Letter Issued
	Call on 29.01.2009
	____
	Consent to Establish Granted.Authorization granted. Consent to Operate applicaton will be considered on 2.03.2009. Call on 02.03.2009

	36
	Jaipur Golden Hospital, 2, Institutional Area , Sec-3, Rohini, Delhi-85
	256
	NW-003
	0.9.06.08
	08.09.08( CTR ) & 29.10.2008(CTE)
	1. Letter issued on 13.12.07 to apply  a fresh for authorization under BMW Rules and to submit test report for  Bio-assay  test from I.P. University or I.I.T. Delhi .  Reply was  not received and as decided on 15.01.08, a letter was issued seeking application for Consent to Establish .
2.As decided in the meeting on 18.03.08, letter for deficiencies was issued.
3.Inspected. DG Set of 1010 KVA found installed without adequate stack height and no stack analysis report submitted. Bins for storage needs to be properly labeled.
4..Latter dated 26-05-08 was issued 
5..Reply dated.11-06-08.w.r.t letter dated 26-05-08 regarding doing the needful as directed.
6.As per the general decision taken on 06.05.08, letter issued for installation of five things.
7..As per decision taken on 13.06.08 letter issued. 
8.. Reply dt. 27.11.08 received stating that SWHS has been installed & ETP Installation is under process & will take 2-3 months time. 9. Personal hearing was given on 30.10.08. and as decided letter was issued.                                                                                                                                 
	Unit came for  personal hearing today .It assured installation of ETP  within 3 month  and Solar Water Heating System within 1 month. Call on 28.11.20008
	Letter issued
	  ETP must be installed  by March, 2009 .
	Letter Issued
	Ask the unit to submit interim report. Call on 29.01.2009.
	Letter issued
	Issue final reminder. Call on 02.03.2009

	37
	Sunder Lal Jain Charitable  Hospital, Ashok Vihar, Phase III, Delhi-52
	178
	NW-007
	04.12.06.
	10.01.07
	1 Reply received but without the desired monitoring report, however the HCU submitted amount of Rs2000/- 2 As decided in the meeting on 15.01.08, letter was issued seeking application for Consent to Establish. However reply was  not received. Consent to Establish application not received. As decided on 18.03.08 letter issued .
Inspection conducted on 01.05.2008. Again letter issued on 26.05.08.
3. Reply received on 10.07.08 informed that quotations received for ETP.12. Letter issued.
As per the general decision taken on 06.05.08, letter issued for installation of (a) Solar water heating system (b) Rain water harvesting system                                                    (c) Replacement of ordinary Bulbs with CFL (d)  ETP (e) Plantation of trees along side of the periphery of the Hospital building.
13. EE had  talked to officials of the hospital.
14. Reply dated 02.01.09 received stating that they have applied for CGWA clearance & installation of RWHS & ETP are under process.
	Call for personal hearing  at 3.40PM on 28.11.2008
	Letter issued
	The unit came for personal hearing today. Ask the unit to file  CGWA clearance  and provide  Rain Water Harvesting System  by December, 2008  and ETP by March, 2009 . As soon as these are confirmed, the decision on authorization will be taken. 
	Letter Issued
	Ask the unit to submit interim report. Call on 29.01.2009.
	Letter issued
	Issue final reminder. Call on 02.03.2009

	38
	Rajiv Gandhi Cancer Institute &Research Centre, Sector-VI, Rohini, New Delhi-85
	162
	NW-005
	28.11.06
	29-12-06 26.5.2008(CTE)
	1. The unit applied for renewal of authorization under BMW Rules on 28.11.06.(Earlier authorization expired on 03.07.06)
2. The Application for Consent to Operate(Renewal) was submitted on 29.12.06 (earlier granted Consent to Operate was valid upto 31.07.05) along with stack monitoring report of DG sets(C/177-C/1178) & for Boiler  wherein the analyzed parameters are within the prescribed standards.
As decided in the meeting on 18.03.08, letter for deficiencies was issued. 
9. Applied for Consent to Establish on 26.05.08
11.Reply dated 12-06-08. w.r.t letter dated 26-05-08.was received regarding doing the needful as directed.
12. As per the general decision taken on 06.05.08, letter issued for installation of (a) Solar water heating system (b) Rain water harvesting system (c) Replacement of ordinary Bulbs with CFL (d)  ETP (e) Plantation of trees along side of the periphery of the Hospital building.
 EE(BMW)  talked to the official (s)of the hospital .
13.  Consent to Establish issued as decided on 13.06.08.. Reply w.r.t letter dated 26.05.08 received.14.Authorization issued as decided on 29.09.08.
	Unit to submit CGWA clearance and adequacy report of ETP within one month , without fail.
	Letter issued
	Issue reminder. CGWA clearance to be submitted   by December, 2008  and ETP by March, 2009. 
	Reminder Issued
	Ask the unit to submit interim report. Call on 29.01.2009.
	Letter issued
	Issue final reminder. Call on 02.03.2009

	39
	Indian Spinal Injuries Centre, Sector-C, Vasant Kunj, New Delhi-110 070
	115
	SW-004
	Applied
	29.02.08
	1. The HCU was inspected on 1-8-2006 and some  deficiencies were observed . 5. SCN for refusal of authorization was issued on 5-12-2006 and HCU submitted the reply along with the noise monitoring report wherein the insertion loss is not within the prescribed standards.
2.Application for authorization received.
3. Applied for consent to operate on 29.02.08. Noise report, boiler stack report & wastewater analysis report submitted.
Letter issued. Application for Consent to Establish not received.
As decided in the meeting on 18.03.08, letter for deficiencies was issued.
10. Letter dated 26-05-08.was issued
12.Reply dated 11-06-08.w.r.t letter dated 26-05-08.was received informing about during the needful as directed.
13. As per the general decision taken on 06.05.08, letter issued for installation of (a) Solar water heating system                                                        (b) Rain water harvesting system (c) Replacement of ordinary Bulbs with CFL (d)  ETP                                                                                                                                             (e) Plantation of trees along side of the periphery of the Hospital building. 
Reply received dt 01.12.08 stating that responce from CGWA is awaited regarding CGWA Clearance.
14.As decided on 29.09.08, a letter was issued.
	Unit to submit CGWA clearance and adequacy report of ETP within one month ,without fail.
	Letter issued
	 Issue reminder  giving one month time.
	Reminder Issued
	Call on 29.01.2009
	____
	Call for personal hearing on 02.03.2009 at 3.30 PM.

	40
	Primus Ortho & Spine Hospital ( of Delhi Hospital Society ),  2, Chandergupt Marg, Chankayapuri, New Delhi-21
	100
	ND-024
	10.12.07
	03.10.07( CTE) & 03.12..07 (CTO ) 
	1. Applied for CTE on 03.10.07 for 100 bedded Hospital replacing existing 70 bedded Hospital. 2. Applied for CTO & Authorization under BMW Rules however  specific reply not received w.r.t the letter issued & regarding ETP. 3.The hospital was inspected on 28.03.08 & Deficiencies were  observed. letter for deficiencies was issued.4.As per the general decision taken on 06.05.08, letter issued for installation of (a) Solar water heating system (b) Rain water harvesting system (c) Replacement of ordinary Bulbs with CFL (d) ETP (e) Plantation of trees along side of the periphery of the Hospital building.5. Reply received vide letter  dated 21.08.08 informed that Rain Water Harvesting System is installed.  The ordinary bulbs have been replaced by CFL.  The trees have been planted.  ETP will be installed by 31st March 2009 as permitted by you.For Solar Water Heating System quotations have been called for.As per the decision taken on 13.06.08 CTE issued. Reply of the letter issued w.r.t. decision taken in the meeting on 14.7.08 received giving compliance report. Letter received on 27.10.08 & informed that                                                                                                                                                                                             quotations for solar water heating system receved & will be completed in Nov.08. Reply dated 02.01.09 w.r.t letter dated received stating that SWHS installation work will take another 2 weeks.                                                  
	Unit to file  confirmation of installation of Solar  Water Heating System  within a month.
	Letter issued
	 Solar Water Heating System must be installed  by December, 2008 .
	Letter Issued
	Ask the unit to submit interim report. Call on 29.01.2009.
	Letter issued
	Issue final reminder for full compliance. Call on 02.03.2009

	41
	Batra Hospital & Medical Research Centre, 1, Tughlakabad Institutional Area,Mehrauli  Badarpur Road, Delhi
	495
	s-005
	26.07.06
	03.11.08(CTE)  26.05.08
	 1. HCU has submitted the reply that ETP has been installed and now it is functional.
2. HCU has also submitted the waste water test report for ETP.Letter  was issued. Reply received informed that all reports are submitted. .As decided in the meeting on 18.03.08, letter for deficiencies was issued.
 3..As per the general decision taken on 06.05.08, letter issued for installation of (a) Solar water heating system (b) Rain water harvesting system (c) Replacement of ordinary Bulbs with CFL (d)  ETP (e) Plantation of trees along side of the periphery of the Hospital building.
4.Communication received on 25.09.08 informing STP is fully functional,water sample has been collected and report will be sent soon alongwith CTE.
5  As decided on 29.09.08, a letter was issued.Reply received dt. 11.12.08 asking for renewal of the Authorization at the earliest.
	Unit to submit CTE  and file an affidavit stating the total number of beds in the hospital, within a week without fail.
	Letter issued
	Issue Consent to Establish  with condition  that adequacy report of the ETP  will be  filed by 29.12.2008.
	CTE Issued
	Dr. Chetna to speak. Call on 29.01.2009.
	Dr. Chetna spoken
	Call on 02.03.2009

	42
	Holy Family hospital, Okhla Road,
	298
	S-006
	13.04.07
	19.01.07(CTO) & 23.10.07(CTE)
	1. Applied for renewal of authorization on 13-4-2007.  2. The HCU was inspected on 10-11-2006. 3. The HCU did not submit the noise monitoring report.As decided in the meeting on 18.03.08, letter for deficiencies was issued.
4. As per the general decision taken on 06.05.08, letter issued for installation of (a) Solar water heating system (b) Rain water harvesting system (c) Replacement of ordinary Bulbs with CFL (d)  ETP (e) Plantation of trees along side of the periphery of the Hospital building.
EE(BMW)  talked to the official (s) Of  the hospital . Reply was received. Reply dated 01.01.09 w.r.t letter dated 23.12.08 received stating that order have been placed for SWHS,adcquecy report for ETP will be submitted within 6 weak time,copy of cerifictes of registration with CGWA submitted.
                                                                                                        
	HCU to install Solar  Water Heating System  and submit adequacy, report of ETP , CGWA clearance ,within one month.
	Letter issued
	Issue Reminder Letter giving one month time.
	Reminder Issued
	Call on 29.01.2009
	____
	Issue final reminder for full compliance. Call on 02.03.2009

	43
	Sir Ganga Ram Hospital, Rajender Nagar, New Delhi - 110 008
	500
	C-005
	07.07.06
	13.11.06 (CTO)& 29.09.08(CTE)
	    
1. Authorization under BMW Rules and  CTO is valid up to 30-5-2010.  
2.. As per the general decision taken on 06.05.08, letter issued for installation of (a) Solar water heating system (b) Rain water harvesting system (c) Replacement of ordinary Bulbs with CFL (d)  ETP (e) Plantation of trees along side of the periphery of the Hospital building.
3. Reply received  dated 04-06-08 w.r.t letter dated 26-05-8.informing about doing the needful as directed.
4. As per the decision taken on 13.06.08 letter issued..5. Reply dated 01.01.09 w.r.t letter dated 23.12.08  received stating that having CGWA clearance, have phased out mercury based thermometers & in active process of phasing out mercury based instruments.                                                                                                         
	Consent to Establish Granted  subject to condition that  CGWA clearance will be submitted  within a month.
	Consent to Establish Issued with condition. 
	CGWA clearance to be filed by December , 2008.
	Letter Issued
	Call on 29.01.2009
	____
	Call on 02.03.2009

	44
	I.P Medical Corp. Ltd.Sarita  Vihar , Mathura Road , New Delhi-44
	661
	S-003
	05.06.06
	19.02.07 11.06.2008(CTE)
	1 Letter issued  after the decision on06.05.08. Reply received.
2.Inspected by a team alongwith Dr. T.K.Joshi , on 11.07.08.BMW management found satisfactory however improvement required w.r.t providing proper containers at the storage site. ETP found under construction & it was informed that it will be completed in a months time.3. Letter issued. Reply received  CTE applied.
As per the general decision taken on 06.05.08, letter issued for installation of (a) Solar water heating system (b) Rain water harvesting system (c) Replacement of ordinary Bulbs with CFL (d)  ETP (e) Plantation of trees along side of the periphery of the Hospital building. Reply received
4. Reply of the letter issued w.r.t. decision on 14.07.08 received informing that the deficiencies stated has been noted and will be complied.
5. Reply received ,informed that ETP under trial run and will be fully commissioned by 10.11.08.6. representation dt. 10.12.08 received regarding addition of another 200 beds in view of upcoming comman wealth games. 6. submitted Effluent (waste water) test reports on 07.01.09.
	Unit to submit adequacy report of the ETP and CGWA clearance by 28.11.2008
	Letter issued
	Adequacy report for ETP and CGWA clearance to be filed within one month.
	Letter Issued
	Consent to Establish granted subject to the recommendation of Delhi College Engineering in its adequacy report and unit will also submit effluent analysis report for the parameter of Bio Assay from an approved laboratory of DPCC and submission of CGWA clearance. Authorization under BMW Rules granted. 
	CTE & Authorization Granted.
	Full compliance by 02.03.09.. Call on 02.03.2009

	45
	Fortis  Lt. Rajan Dhall Charitable Trust, Secto-B, Aruna Asaf Ali arg, Vasant Kunj
	158
	SW-149
	Applied on 1.05.2006
	26.06.06 (CTE) and  1-Sep-06(CTO)    
	1. HCU applied for authorization on 1-5-2006(C17)2. HCU applied under Air Act n 1-9-2006.3. Waste Water monitoring report submitted.4. As  decided  on 1-8-2007, consent under Air Act and authorization under BMW rule were issued.5. As per the general decision taken on 06.05.08, letter issued for installation of (a) Solar water heating system (b) Rain water harvesting system (c) Replacement of ordinary Bulbs with CFL (d)  ETP (e) Plantation of trees along side of the periphery of the Hospital building.6.Reply   received informing that CTE already being submitted on 26.06.06 . 7. As decided on 29.09.08, a letter was issued.8. Reply dated 05.11.08 recieved stating that  EC is not aplicable as building was constructed and completed prior to july 2004, adequacy report from DPCC authorize lab will be submitted by end of this month.9. Reply received on 19.12.08 stating that EC not aplicaple as their buliding was constructed prior to July 2004, for SWHS orders has been placed, for RWHS looking at feasibility with CGWA, along with adequacy report of STP .10.Pointwis e reply dated 14.01.09 w.r.t letter dated 22.12.08 received stating adcquescy report- submitted,EC-not applicable as buliding was completed prior to july 2004,SWHS instaallation will start by this month end, RWHS-looking at feasibilty.
	The unit to submit adequacy report of the ETP , Environmental Clearance , install Solar  Water Heating System and Rain Water Harvesting System  within a month.
	Letter issued
	Dr. Joshi's  Team  to inspect and report and unit to expedite the  compliance on the decisions of the Committee. .
	Inspected
	Deficiencies noted during the inspection may be communciated to the unit for correction. Call on 29.01.2009.
	Letter issued
	Issue final reminder for full compliance. Call on 02.03.2009

	46
	Moolchand Hospital, Lajpat Nagar-III , New Delhi-24
	150
	S-008
	05.02.06
	23-Jun/04 (CTO) 12-Aug-08(CTE)
	1. As per decision taken in the meeting held on 1-8-07, HCU has been inspected on 14-8-2007(C/194) and BMW Management found as per rule.5. As per decision taken on 31.08.07, Consent under Air Act and Authorization under BMW Rules issued.
2. As per the general decision taken on 06.05.08, letter issued for installation of (a) Solar water heating system (b) Rain water harvesting system (c) Replacement of ordinary Bulbs with CFL (d)  ETP (e) Plantation of trees along side of the periphery of the Hospital building.
3. As per the decision taken on 13.06.08 letter issued.  Reply  received requested for time for installation of ETP.
                                                                                                                                                        
	Unit to install ETP within 3 months,  
	Letter issued
	 ETP must be installed  by  March, 2009 .
	Letter Issued
	Ask the unit to submit interim report and Dr. Chetna to speak. Call on 29.01.2009.
	Letter issued
	Issue final reminder for full compliance. Call on 02.03.2009

	47
	Rockland  Hospital,B-33-34, Qutab institutional Area, New Delhi-16
	130
	S-276
	28-03-06
	27-12-06
	1. consent under Air Act and authorization under BMW rule were issued
2. As per the general decision taken on 06.05.08, letter issued on 26.05.08 for installation of (a) Solar water heating system (b) Rain water harvesting system (c) Replacement of ordinary Bulbs with CFL (d)  ETP (e) Plantation of trees along side of the periphery of the Hospital building.
3. As per the decision taken on 13.06.08 letter issued. Reply  received.
4.Reply dated 01.10.08 received informing that for ETP installation quatations have been called for. 5.Personal hearing was given on 30.10.08 and accordingly letter was issued.   6 Letter was  received regarding stopage of services by the operator. Letter was issued to the Operator M/s Synergy Waste Management Pvt.Ltd, by DHS in this regard. Reply received from the operator.                                                                                         7. Reply dated 14.01.09 received stating that they will complete the installation of ETP in next 6 months.                                     
	Unit came for  personal hearing today . It assured installation of ETP with 3 months,  Solar  Water Heating System  by end of December , 2008. Issue letter for CGWA clearance . Call on 28.11.2008
	Letter issued
	 Solar Water Heating System must be installed  by December, 2008  and ETP by March, 2009 .   CGWA clearance to be submitted  by December, 2008.
	Letter Issued
	Ask the unit to submit interim report and Dr. Chetna to speak. Call on 29.01.2009.
	Letter issued
	Issue final reminder for full compliance. Call on 02.03.2009

	48
	Sant Parmanand Hospital, 18, Civil Lines, Sham Nath MargDelhi-6
	120
	N-004
	18-04-07
	14.06.06(CTO)& 22.10.08(CTE)
	1. As per the decision taken in the meeting held on 1-8-2007, consent under Air Act and authorization under BMW rule has been issued
2.. As per the general decision taken on 06.05.08, letter issued on 26.05.08 for installation of (a) Solar water heating system (b) Rain water harvesting system (c) Replacement of ordinary Bulbs with CFL (d)  ETP (e) Plantation of trees along side of the periphery of the Hospital building.
3. As per the decision taken on 13.06.08 letter issued. 
4. Reply of letter issued w.r.t decision taken on 14.07.08 received informing that proposal for solar water heating system, rain water harvesting system ,replacement of ordinary bulbs & ETP installation ius under consideration and will be implemented shortly.
5. Reply dated21.01.09 received stating that SWHS(2*600 LPD) installation work is complete., ETP insatllation work is progress,RWHS will be installed shortly.
	CGWA clearance to be submitted within one month, Solar  Water Heating System  , Rain Water Harvesting System  to be installed within one month , ETP to be installed within 3 months .
	Letter issued
	 Solar Water Heating System,  Rain Water Harvesting System must be installed  by December, 2008  and ETP by March, 2009 . CGWA clearance to be submitted by December, 2008.
	Letter Issued
	Call for personal hearing on 29.01.2009 at 3.10 PM.
	Letter issued
	The unit came for personal hearing today. It has already completed the Solar Water Heating System and assured that Rain Water Harvesting System & ETP will be installed by 31.03.2009 and CFL will be installed in phases. Call on 2.03.2009 for interim report.

	49
	Mata Chanan Devi Hospital, C-1, Janak Puri,New Delhi 
	210
	W-004
	28.04.06( Auth Valid upto 04.05.09)
	28.04.06(CTO)& 27.10.08(CTE)
	1. HCU is having valid authorization upto 04.05.09 & Consent to Operate Under Air Act.
2. As per the general decision taken on 06.05.08, letter issued on 26.05.08 for installation of (a) Solar water heating system (b) Rain water harvesting system (c) Replacement of ordinary Bulbs with CFL (d)  ETP (e) Plantation of trees along side of the periphery of the Hospital building. 3..letter received on 14.07.08 w.r.t letter dated 26.05.08,   informing that needful is being done.
6. As per the decision taken on 13.06.08 letter issued. Reply  was  received.  7.Personal hearing was given  to the unit on 30.10.08. and as decided a letter was issued.
                                                                     
	Unit came for personal hearing today and assured installation of ETP within 3 months, Rain Water Harvesting System  and Solar  Water Heating System  within one month.
	Letter issued
	 Solar Water Heating System,  Rain Water Harvesting System must be installed  by December, 2008  and ETP by March, 2009 .M52
	Letter Issued
	Ask the unit to submit interim report. Call on 29.01.2009.
	Letter issued
	Issue final reminder. Call on 02.03.2009

	50
	Sri Balaji Action Medical Institute , FC-34, A-4, Paschim Vihar, New Delhi- 63
	200
	W-327
	21.06.07
	22.06.07 Applied for CTE on 29.12.08
	1. HCU is having valid authorization  & Consent to Operate Under Air Act.
2. As per the general decision taken on 06.05.08, letter issued on 26.05.08 for installation of (a) Solar water heating system (b) Rain water harvesting system (c) Replacement of ordinary Bulbs with CFL (d)  ETP (e) Plantation of trees along side of the periphery of the Hospital building. 
3. As per the decision taken on 13.06.08 letter issued.  4.Personal hearing was given  to the unit on 30.10.08. and as decided a letter was issued.
	Unit came for personal hearing today, it has been directed to install solar water heating system within one month and submit adequacy report of the ETP within one month,and file CTE within a week.
	Letter issued
	Dr. Chetna to speak to M.S. of the  Hospital  to ensure that  unit applies for CTE within a week and for  compliance of other decisions of the Committee.
	Dr. Chetna to spoken
	Issue final reminder to apply for Consent to Establish. Call on 29.01.2009.
	CTE Applied on 29.12.08
	Issue final reminder for full compliance. Call on 02.03.2009

	51
	Jeewan Mala Hospital(P)Ltd., 67/1, New Rohtak Road.New Delhi -05
	104
	C-012
	04.07.06
	08.01.07 (CTO)  01.08.08(CTE)
	1. The HCU was inspected on 27-9-2006(C/80)  and BMW management found as per rule.  The HCU was again inspected on 09.07.2007 since complaints were received against the Hospital and BMW management was found  as per rule ( (  C/134).                                                                                                                      2.Consent issued under Air Act & Authorization  under BMW Rules issued as per the decision taken on 04.10.07.
3. As per the general decision taken on 06.05.08, letter issued on 26.05.08 for installation of (a) Solar water heating system (b) Rain water harvesting system (c) Replacement of ordinary Bulbs with CFL (d)  ETP (e) Plantation of trees along side of the periphery of the Hospital building.4. As per the decision taken on 13.06.08 letter was  issued. Reply received. 5.Personal hearing was given  to the unit on 30.10.08. and as decided a letter was issued.
6. Compliance report and CGWA clearance not submitted.
	Unit came for personal hearing  today . It has been asked to install Solar  Water Heating System within one month  and Rain Water Harvesting System  within two months,  ETP is to be installed  within three  months and  CGWA clearance to be submitted within one month.
	Letter issued
	Solar Water Heating System,  Rain Water Harvesting System must be installed  by December, 2008  and ETP by March, 2009 .CGWA clearance to be submitted by December 2008. w.r.t  letter dated  26.11.08,  send copy of the reply  already sent to Vigilance Department
	Letter Issued
	Ask the unit to submit interim report. Call on 29.01.2009.
	Letter issued
	Issue final reminder. Call on 02.03.2009

	52
	G.M.Modi Hospital and Research Centre for Medical Science, Mandir Marg, Saket , New Delhi -17
	100
	S-010
	29.06.07
	13.08.07 (CTO)  & CTE on 04 .09.08
	1. Consent issued under Air Act. &Authorization issued under BMW Rules as per the decision taken on 04.10.07.
2. As per the general decision taken on 06.05.08, letter issued on 26.05.08 for installation of (a) Solar water heating system (b) Rain water harvesting system (c) Replacement of ordinary Bulbs with CFL (d)  ETP (e) Plantation of trees along side of the periphery of the Hospital building 3.Reply w.r.t letter dated 26.05.08  received
4. As per the decision taken on 13.06.08 letter issued. 
5.Reply of letter dated 14.08.08 received informing they have installed solar water heating system and rain water harvesting system.Asked for six month time for installation of ETP .
6. reply dated 03.12.08 received stating that they will complete the work of ETP installation with in given time. 
	Unit to install ETP within three months and submit CGWA clearance within one month.
	Letter issued
	 ETP  must be installed by March, 2009 .CGWA clearance to be submitted by December 2008.
	Letter Issued
	Ask the unit to submit interim report. Call on 29.01.2009.
	Letter issued
	Issue final reminder. Call on 02.03.2009

	53
	Jeewan Mala Hospital Pvt. Ltd., 66- A/2, New Rohtak Road, New Delhi-05
	50
	C-091
	03.07.06
	08.01.07 (CTO)  01.08.08 (CTE)
	1. HCU is having valid authorization  & Consent to Operate Under Air Act.
2.Letter  issued  as per the decision taken on 13.06.08 for installation of (a) Solar water heating system (b) Rain water harvesting system (c) Replacement of ordinary Bulbs with CFL (d)  ETP (e) Plantation of trees along side of the periphery of the Hospital building .                                   3 Reply received   informing that needful is being done.
4. Reply received w.r.t letter issued on 14.08.08 informing quotation for solar water heating system has been obtained and will be completed shortly.For rain water harvesting quotation has been called for. ordinary bulbs have been replaced by CFL.  Sapling have been planted in MCD park. between the two hospitals.  5.Personal hearing was given  to the unit on 30.10.08. and as decided a letter was issued.
	Unit came for personal hearing  today . It has been asked to install Solar  Water Heating System within one month  and Rain Water Harvesting System  within two months,  ETP is to be installed  within three  months and  CGWA clearance to be submitted  within one month.
	Letter issued
	w.r.t  letter dated  26.11.08,  send copy of the reply  already sent to Vigilance Department .  Dr. Chetna to speak to M.S. of the Hospital to expedite the compliance of other decisions of the Committee.  
	Letter Issued
	Call on 29.01.2009
	____
	Issue final reminder. Call on 02.03.2009

	54
	Jeewan Nursing Home & Hospital, 2-B, Pusa Road, New Delhi-05
	100
	C-016
	11.07.07
	O7.07.06 (CTO) and Applied for CTE on25.08.08
	1. Consent under Air Act granted & valid..
2. Inspected on 29.04.08, management of the BMW found as per rule w.r.t. segregation, color coded bags.HCU is  Having two DG sets of capacity 62.5KVA & 82.5KVA with acoustic enclosure and the stack (combined) found  adequate.
3 Letter issued ON 26.05.08 as per the general decision taken on 06.05.08, letter issued for installation of (a) Solar water heating system (b) Rain water harvesting system (c) Replacement of ordinary Bulbs with CFL (d)  ETP (e) Plantation of trees along side of the periphery of the Hospital building. 4.Reply dated 12-06-08,was received along with noise monitoring report waste water analysis.5 Reply received w.r.t letter issued on14.07.08 .6.Personal hearing was given  to the unit on 30.10.08. and as decided a letter was issued.
7. Reply received dt. 01.12.08 stating that the installation of SWHS will be finish by 3rd week of Dec. , insatllation of RWHS will take 2-3 months, installation of ETP will take 5-6 months.
	Unit came for personal hearing today . It has to install Solar  Water Heating System  within one month, Rain Water Harvesting System  within two months and ETP within 3 months. To be reviewed on 28.11.2008
	Letter issued
	Dr. Chetana to speak to  M.S.of the Hospital  and expedite the compliance.
	Dr. Chetna to spoken
	Ask the unit to submit interim report. Call on 29.01.2009.
	Letter issued
	Issue final reminder. Call on 02.03.2009

	55
	Dr. B.L.Kapur Memorial Hospital, Pusa Road, Delhi  05
	500
	C-
	06.11.08
	13.03.08(Establish)  & for   CTO  on 20.11.08
	1. CTE application was received on 13.03.08.. 2. Built up Area is 101247 Sq meter. 3. Total  Water Consumption-  574 KLD..  Effluent – 263 KLD(Domestic) &  10 KLD ( Cooling& Boiler Blow Down and Softening Plant ) .STP proposed of 300 KLD  Capacity .Boilers ( 4 Nos).Rain water Harvesting shall also be done by taking suitable measures..Letter for deficiencies was issued on 21.04.08.3.Reply dated 06-06-08.was received.4.Letter dated 13-06-08 regarding redevelopment of the hospital received.5. EC given by MOEF  vide letter dated 13.06.08.6. Inspected by a team along with Dr.T.K.Joshi, on 11.07.08. Construction of the Hospital was going on.7. Case of  HCU was placed before  CMC( Orange) meeting on 07.10.08 and as decided a letter was issued  for submission of adequacy report for  ETP &  for the clarification regarding no of beds ( EC given by MOEF was for 400 beds whereas HCU had applied to DPCC for CTE for 500 Bedded hospital). Reply received wrt letter dated 17.10.08  . A letter was received from MOEF.  CTE was issued as decided on 30.10.08. Adequecy report from NPC submitted.  As decided by the Committee on 29.12.08, CTO issued.  Letter received from the HCU .
8. Adequacy report from NPC for ETP dated 17.11.08 submitted on 20.01.09.
	Issue Consent to Establish  subject to condition that  Solar  Water Heating System shall be installed within one month.
	Consent to Establishissued with conditions.
	Unit to submit adequacy report for ETP and confirm installation of Solar Water heating System , within a month.
	Letter Issued
	Consent to Operate granted subject to submission of adequacy report from empanelled consultant of DPCC. Call on 29.01.2009.
	CTO Granted
	Ask the unit to file technical evaluation of ETP from Delhi College of Engineering. Call on 02.03.2009  

	56
	Yashraj Bio-Technology Ltd., C-34.Mulund (West), Mumbai-80
	NA
	 
	19-10-06
	Not Applicable
	1.In respect of this unit, G.B. Pant Hospital was visited on23-3-207 and the bottles in which the BMW fluid being carried out were seen which were having Biohazard symbol and lebel however Inspection of the vehicle and arrangement used for the transportation of bio-fluid could not  verified as the no one was came to carry the fluid from the transporter during the inspection.
2.Presentation was given by the representative of the unit  before the committee on 01.08.2007 .
3.Letters were issued in the past seeking photographs etc for handlinf of BMW  and later on an affidavit was also sought regarding proper  handling of BMW fluids during the transportation and training etc to the handling staff.
4.Replies to the letters issued were received & unit submitted the asked photographs , an affidavit as asked by the BMW Committee and other information sought. 5.Authorization as decided in the BMW meeting held on 06.05.08 was issued to the unit.& remaining fee for two years as decided by the Committee was returned to the unit.6.As decided on 29.09.08 a letter was issued. Reply  was received ,
letters issued as decided on 30.10.08 & 29.12.08.
	Unit to file compliance report w.r.t provisions of BMW Rules and inform regarding training protocol and the number of training sessions and the number of staff they have trained, the training curriculum within one month
	Letter issued
	Unit to  communicate to DPCC on following, (i)  Training Protocol   and its contents (ii) Qualification of the Trainners
	Letter Issued
	Issue final reminder. Call on 29.01.2009.
	Reminder issued
	Issue final reminder. Call on 02.03.2009

	57
	Metro Bio-Care services (P) Limited,
	NA
	 
	Applied for Renewal of authorization on 28.11.2008.
	Applied for Renewal of Consent ON 26.11.08
	1. Inspection was conducted and a letter was issued on 25-5-2007 to rectify the deficiencies within 3 months.
2 Reply received regarding rectification of  deficiencies.
3.Installed new incinerator as per direction of CPCB. 
4..Directions issued by CPCB u/s 5 of EPA on 03.10.07.
5.Inspected on 23-8-2007  6.SCN was issued for providing (i)sludge dewatering device.(ii). Manual mode on PLC should not be used. (iii) Rota meter should be provided at PC &SC of incinerator.7. Reply Received along with an affidavit regarding directions given by DPCC have been complied. 8.Letter received, regarding compliance with the  directions  by CPCB..10.Unit was inspected  on 27.03.08 and compliance w.r.t directions given was observed. 11. CPCB has released the bank guarantee of    unit.12. Letter/Reply received w.r.t.letter dated 21.10.08 and. w.r.t decision taken on 30.10.08.                                                                                       . Letter issued as decided on 28.11.08. The unit was inspected and incinerator was monitored on  20.01.09. As per the monitoring report of DPCC Laboratory, VOC in ash (0.08 %) is not within the prescribed standard of 0.01%.                                                                                                                                                                                                 
	Operator  be asked to follow the Directorate of Health Services (DHS) agreement. Place a copy on the file. 
	Letter issued
	 Dr. Chetna to talk to Dr. K.S. Baghotia , CMO( BMW) of DHS regarding the representation received from the Operator on the Issue  of Rates/ Service Charges for BMW and sort out the matter and Inform to the Operator  accordingly.  Regarding   BMW of Category 6,   as per the Schedule I  of BMW Rules,   treatment and disposal options given are , incineration/ autoclaving / micrwaving . To reduce the quantum of BMW  for incineration / to reduce the load on incinerators,  with the objective to reduce emissions and particulate matter,  it was recommended by the Independent Committee  to segregate Category 6 waste in red bags & not in yellow bags and accordingly both the Operators were asked to convey this recommendation to their member units.  This to be added in the letter to be sent by Dr. Chetna.
	Dr. Chetna to spoken
	Appropriate reply drafted by Dr. T.K. Joshi may be sent to the unit for its querry Unit may also be clearly directed  to follow the directions of Delhi Health Services (DHS)  and may be intimated that any violation in this regard will result in cancellation of authorization. Call on 29.01.2009
	Letter issued.
	Issue Letter to the Operator   for  taking necessary measures so as to meet the prescribed standards, since  VOC found  not within the prescribed standard as per the monitoring conducted by DPCC Laboratory. Operator to submit fresh  monitoring report for incinerator , by 02.03.09.
Call on 02.03.09.

	59
	Panacea Biotec  Ltd. , A-224,   PH – I ,  Okhla Industrial Area, Delhi -20.
	R& D activities for Vaccines
	S -291
	13.11..07
	22.02.06(CTO)  & CTE on 27.11.07
	1. Unit is engaged in  R&D of Vaccines.CTO applied on 22.02.06.  2. Inspected by the officials of PGRC  on 27.04.07. & was placed before CMC (Orange)in its meeting  on  09.10.07. 3. Unit is having a DG Set of 380 KVA with acoustic enclosure and also have a oil fired Boiler for which information was not provided in the consent application.  The unit had concealed information and not provided adequate stack height., it was decided that the unit shall apply for CTE and submit a Bank Guarantee of Rs. 50,000 . Unit applied for CTE on 27.11.07 and submitted Bank Guarantee of Rs. 50,000. valid upto 21.11.08.  4. Unit submitted test report for the waste water generated from the unit showing that the  parameters are within the limit. 5.Stack monitoring report for the Oil fired Boiler was not submitted.
6.Activities/ processes of the unit are covered under HW ( M& H) Rules. Inspection  was done on 31.03.08 & deficiencies were observed.7 Lletters issued as decided by the Committee.. Replies  received.
	Call for personal hearing  at 3.50 PM on 28.11.2008.
	Letter issued
	The unit came for personal hearing today. The installation of ETP is under process and the same will be installed and adequacy report for ETP  will be submitted by May, 2009 and noise monitoring report and CGWA clearance by December, 2008 . 
	Letter Issued
	Ask the unit to submit interim report. Call on 29.01.2009.
	Letter issued
	Issue final reminder. Call on 02.03.2009

	60
	Panacea Biotec  Ltd. , A- 239-242,   PH – I ,  Okhla Industrial Area, Delhi -20.
	Mfg of Vaccines
	S -292
	13.11..07
	20.01.06(Renewal) & CTE on 27.11.07
	1. This is a case of  manufacturing of  Vaccines and operating since  1989.CTO applied on 20.01.06.  The unit has submitted two set of application form for consent (renewal)  dated 12.07.06&  20.01.06 and contradictory statements were made in the applications. 2. The unit was inspected by the officials of PGRC  on  25.09.07. & was placed before CMC (Orange) in its meeting  held on  09.10.07. 
3. The team inspected the unit on 06.11.07 & it was observed that unit had not applied for authorization under BMW Rules though having agreement with M/S Synergy Waste Management Pvt. Ltd., for the disposal of the BMW.
 
4. Applied for the Authorization on 13.11.07.
5.  As per the Hazardous Waste ( M& H) Rules ,1989, as amended to date, the activities/ processes of the unit are covered under the said Rules. 
6..Inspection done on 31.03.08 & deficiencies were observed. 7.Letters were issued as decided by the Committee and reply received .                                                                                                                                                                                                
	Call for personal hearing  at 4: 00 PM on 28.11.2008
	Letter issued
	The unit came for personal hearing today. The installation of ETP is under process and the same will be installed and  adequacy report for ETP  will be submitted by March 2009 and noise monitoring report and CGWA clearance by December, 2008 . 
	Letter Issued
	Ask the unit to submit interim report. Call on 29.01.2009.
	Letter issued
	Issue final reminder. Call on 02.03.2009

	61
	Panacea Biotec  Ltd. , B- 1/ E-12, Mohan Co-operative Industrial Estate, Delhi -44..
	----
	S - 293
	13.11..07
	28.10.05(Renewal) & CTE on 27.11.07
	1. Unit is engaged in  mfg. of pharmaceuticals. 2. It was inspected by  PGRC  on 25.09.07. & matter  was placed before CMC (Orange)in  meeting  on  09.10.07.3.Unit is having two  DG Set of 380 KVA & 725 KVA with acoustic enclosure and LPG Bhatti.  4.Unit submitted test report for the waste water generated from the unit.
5.  Inspection done on 06.11.07 & it was found that unit had not applied for the authorization under BMW Rules, though disposing BMW  through M/s Synergy Waste Management Pvt. Ltd..Isolated storage site for BMW not provided.   
6.. Activities/ processes of the unit are covered under the HW Rules.
7. The unit was inspected by the team on 03.03.08. Waste Water is generated for which no ETP / Equalization tank provided .Other Unit M/s Panacea Bio – Pharmaceuticals Research at First Floor a R & D Laboratory is also operating which has not applied for authorization under BMW Rules. Liquid BMW from this Laboratory is given to  said operator however the said Operator has informed contrary to this.8.Letter for deficiencies were issued & reply to the letters received.
	Call for personal hearing  at 4: 10 PM on 28.11.2008
	Letter issued
	The unit came for personal hearing today. The installation of ETP is under process and the same will be installed  and adequacy report for ETP  will be submitted  by March 2009 and noise monitoring report and CGWA clearance by December, 2008 . 
	Letter Issued
	Ask the unit to submit interim report. Call on 29.01.2009.
	Letter issued
	Issue final reminder. Call on 02.03.2009

	62
	Shriram Institute for Industial Research , 19, University Road, Delhi-07.
	----
	N- 069
	28.02.07
	Applied for CTE  on 22.08.08 and  for CTO on 11.11.08.
	This is a case of research institute which is engaged in research related with animals and generates BMW 
2. The Institute had applied for the authorization under the BMW Rules, on 29.06.2001 & again on 28.02.07.  
3. Inspected on 29.04.08 and deficiencies were observed.
4.Letter issued based on the decision taken on 06.05.08. Reply received asking time for filing application for Consent to Operate/ Establish.
5.Reply dated 06-06-08.w.r. t.  letter dated 26-05-08.regarding taking necessary steps to meet BMW guidelines was received.
6. Letter issued. Reply received. Asked time for filing application for consent to operate/Establish.
7.Waste Water, Emissions and Noise monitoring reports pertaining to DG stacks have been submitted, States that plans to install ETP as and when need arises.8. Applied for CTE  on 22.08.08.  As directed by the Chairman, DPCC,  case was also placed before CMC ( Orange) in the meeting on 06.11.08.Applied for CTO on 11.11.08 8. Reply dated 02.01.09 received stating that ETP will be installed by the end of march09.
	Unit to install ETP within three months.
	Letter issued
	 Unit  to install  ETP  by  March, 2009.
	Letter Issued
	Ask the unit to submit interim report. Call on 29.01.2009.
	Letter issued
	Issue final reminder  for full compliance. Call on 02.03.2009

	63
	Becton Dickinson India P.Ltd., 2, Community Centre , 3RD Floor, Anand House , Saket w Delhi -17) ( Head Office at 6th Floor Signature Tower-B South City, 
	…..
	…..
	19.03.08 
	_____
	Show Cause Notice as decided in the Meeting on 15.01.08 was issued to the Unit on 22.02.08. Reply  was  received. Applied for authorization under BMW Rules on 19-03-08.
As per the decision taken on 13.06.08 Storage site at mandolin was  inspected by the Team of Dr.T.K.Joshi and letter issued to the unit as decided in the meeting on 28.11.08.reply dated 09.01.09 recived regarding rectifaction of the deficiencies observed during inspection 
	To be inspected  .Call on  28.11.2008.
	Inspected.
	Unit  be directed to dispose the waste in Delhi as per BMW Rules , through any of the operators  and operators  be  directed to charge the rate fixed by DHS., Deficiencies observed during the inspection to be informed to the unit for correction of deficiencies.
	Letter Issued
	Dr. Chetna to speak. Call on 29.01.2009.
	Dr. Chetna spoken
	Issue final reminder for full compliance. Call on 02.03.2009

	64
	M/s FoundationInternational Charitable Trust Society 306, Kohat Enclave, Pitampura, Delhi -34
	…….
	 
	……….
	Not Applied for CTE 
	The project was  in the list of 18 projects provided by MoEFvide letter dated 16.04.08. Notice issued on 30.04.08 for applying for consent to establish and to submit environment clearance from MoEF 2. As decided the Unit  was asked  to file following five things :
(i)Consent to Establish
(ii)Environmental Clearance
(iii)Affidavit indicating date of start of construction and completion of construction.
(iv) Approved architectural drawing
(v) Completion Certificate.. 
 Subsequently as decided letters were issued to the unit however not applied for CTE . Personal hearing was given  to the unit on 30.10.08. and as decided a letter was issued. Copy of Environmental  Clearance by MOEF dated 04.11.08.received.
	Unit came for personal hearing today. The unit to file CTE within 10 days.
	Letter issued Copy of EC dated 4.11.08  by MoEF received.
	Ask the unit to  submit  itemwise  compliance of the conditions of the Environment Clearance through an affidavit.
	Letter Issued
	Dr. Chetna to speak. Call on 29.01.2009.
	Dr. Chetna spoken
	Issue final reminder for itemwise compliance of Environmental Clearance conditions. Call on 02.03.2009

	65
	Oscar Bio Tech Pvt. Ltd. (Multi Super Specialty Hospital, A- Bl;ock, Shalimar Bagh, Delhi-52) office address D-5, !st floor,Okhla Industrial Area, Phase-1, Delhi-20
	550
	 
	……..
	Applied for CTE 20.12.05. 
	Proposed date of commissioning as per application was 01.12.07.Water consumption total 830 KLD(Domestic 40KLD, sanitation 265KLD, cooling 495KLD, horticulture 20KLD & others 10 KLD). ETP with design capacity of 250KLD is proposed with secondary and tertiary treatment. Treated wastewater will be reused for cooling and horticultural purpose.DG sets- 1000KVA & 750 KVA proposed with acoustic enclosure.letter was issued on 07.03.08 asking EIA clearance.Ask the unit to file item-wise compliance of the EC conditions. Subsequently letters were issued as decided by BMW/CMC Committee. As per the decision taken on 13.06.08 Letter issued. Reply was recived w.r.t to said letter. Damages and bank Gauranttee decided by CMC (Orange) not submitted Case, was taken in the CMC (Orange) on 07.10.08. As decided  the matter was  taken by BMW Committee no. 1 in the meeting on 30.10.08.Letters were issued based on the decisions taken by the CMC(Orange). Unit had filed appeal before the Appeallate Authority ( Financial Commissioner ) and stay was given by the Appeallate Authority. The next date in the matter is on 03.03.09.
	Issue reminder notice for compliance of CMC decisions by  06.11.2008 without waiting for minutes. Send file administratively on  07.11.2008.
	Reminder was issued .Reply received and informed that the HCU has already got stay from the Appeallate Authority (Financial Commissioner , Govt. of Delhi)vide order Daed 03.10.08 on the letter dated 19.09.08 issued seeking Damages and bank Gauranttee as  decided by CMC (Orange) on 10.09.08. File Submitted Administratively.
	File to be submitted administratively for filing  reply before the  Appellate Authority (Financial Commissioner ) . Sh  Videh Upadhaya,  Advocate  to be  engaged for this appeal   with preliminary objection that the Appeallate Authority has no jurisdiction  in this case.
	File was submitted administratively.
	Call on 29.01.2009 for interim discussion. 
	____
	Call on 02.03.2009

	66
	Society of Unique Hospital & Research Institute ( Multi Super Specialty Hospital & Research Institute at   Sector-19 Dwarka, Delhi) office address BD-73, Pitam Pura, Delhi-88
	400
	 
	…………
	14.7.2006 
	The unit has applied for consent to establish on 14.07.06 for 400beded hospital at Sector-19 Dwarka, Delhi. Plot area as per affidavit submitted is 31502 Sq. m and built up area will be 29819.917 sq.m. Proposed date of commissioning as per application was 01.10.07.  water consumption total 340 KLD(Domestic 180KLD, cooling 140KLD, others 20 KLD). ETP with design capacity of 150KLD is proposed with secondary and tertiary treatment. Treated wastewater will be reused for cooling and horticultural purpose.  DG sets- 3 nos of 750 KVA capacity each proposed with acoustic enclosure. 3nos. oil fired boilers (1500Kg/hours. It is mentioned that unit will comply with BMW Rules.
Environmental Clearance given by MoEF vide letter dated 16.05.07. As per the decision taken by CMC in its meeting taken on 18.02.08, a letter was issued to the unit on 11.03.08 asking to file an affidavit for compliance of EIA clearance conditions. However no reply received in this regard.
As decided on 06.05.08, the unit was asked to file item-wise compliance of the EC conditions during the construction and the general conditions. and to commit on affidavit that it will follow the  conditions in the operation phaseand was  Asked  to file following  :
(i) Affidavit indicating date of start of construction and completion of construction.
(ii) Approved architectural drawing
(iii) Completion Certificate
As per the decision taken on 13.06.08 Letter issued. 
	Call for personal hearing at 4.20 PM on 28.11.2008
	Letter issued
	The unit came for personal hearing today.  Time allowed   upto 29.12.2008 for submission of all required documents .M35
	Letter Issued
	Dr. Chetna to speak. Call on 29.01.2009.
	Dr. Chetna spoken
	Call on 02.03.2009

	67
	St. Stephen's Hospital Tis Hazari, Delhi-54
	595
	N-002
	13-06-06 (valid up to 
5-07-09)
	CTE granted & Applied for CTR on 24.11.08
	1.        Authorization and Consent Granted 2. As per the general decision taken on 06.05.08, letter issued for installation of 
(a) Solar water heating system
(b) Rain water harvesting system
(c) Replacement of ordinary Bulbs with CFL
(d)  ETP 
(e) Plantation of trees along side of the periphery of the Hospital building.
3. CTE Granted as decided on 13.06.08. Letters issued as decided by the Committee.
	Dr. Chetna to speak to MS of the hospital.
	Dr.Chetna spoken
	Unit to submit adequacy report for ETP and  CGWA clearance  within a month.
	Letter Issued
	Ask the unit to submit interim report.  Call on 29.01.2009.
	Letter issued
	Issue final reminder. Call on 02.03.2009

	68
	Jeewan Hospital & Nursing HomeGate No.2,Jeewan Nagar, Opp.Maharani Bagh, New Delhi 110014
	50
	S-022
	14-01-08
	Applied for CTE  & CTO on 04.11.08
	1.  Authorization expired on 06-06-07.  2. Applied for renewal on 14-01-08.
3. Personal hearing was given to the unit on 30.10.08 and as decided the unit applied for Consent to Establish and for Consent to Operate on 04.11.08.
	Unit came for personal hearing today.  CTE application will be submitted within a week. Call on  28.11.2008
	Applied for CTE on 04.11.08
	Dr. Joshi's Team  to inspect and report. 
	Inspected
	Deficiencies noted during the inspection may be communciated to the unit for correction. Call on 29.01.2009.
	Letter issued
	Issue final reminder. Call on 02.03.2009

	69
	Sembramky Environmental Management  Pvt. Ltd
Khasra No. 83/22, Nale Wali Gali, Mundka Udyog Nagar, Delhi-41
	CBWTF
	W-370
	Fresh Case, applied for CTE
	23-Jul-08(CTE)
	This is a fresh case.  Applied for CTE on 23-07-08 for the Establishment of Common Bio-Medical Waste Treatment Facility (CBWTF) at Mundka.
The activity “ Hazardous Waste Processing viz.hospital/medical/industrial waste” is mentioned at sl no. 46 of the list of prohibited / negative list of industries (Annexure III) of MPD 2021.  As per  the note given in the said Annexure III a Public utility service involving any of the activities referred to above shall be permitted subject to environmental laws.4. The applicant has mentioned that plot area for the said facility will be one acre.5. The applicant has mentioned that all the required equipments like incinerator (Double Chamber) with venturi scrubber, autoclaves, shredder etc. shall be installed.  ETP shall be installed and treated effluent shall be reused.6.Letter received from COI. informing that the  area for the site is not a conforming industrial area as on date. However for setting up BMW Treatment Facility in the area, DPCC may decide on its own level depending upon dire need of Delhi as well as, as per provision of MPD-2021 in consultation with DDA, if needed
	Call on 28.11.2008
	-------
	No Action.
	Letter Issued
	No action.
	____
	No action.

	70
	Envirocare Waste Management Company, Co., 72-A, Baba Complex, Taimoor Marg, New Delhi-65
	CBWTF
	 
	----------
	---------
	This is a case of representation received from the unit for the Establishment of Common Bio-Medical Waste Treatment Facility (CBWTF) in Delhi.
2. The unit is not having any land of its own for the said purpose and requested for providing the land. 
3. As directed by the Chairman, DPCC the case was  placed before the Committee. As decided in the meeting on 30.10.08, a letter was issued to DDA.
Reply recieved from DDA stating that they are not concerned with any kind of solid waste management and MCD / NDMC may be approached on the issue of land for the said purpose.
	Dr. Chetna to speak .
	Dr.Chetna spoken
	Call on 29.12.2008
	Letter Issued
	File to be submitted administratively. 
	_____
	Using the mintues of the  meeting of Chief Secretary  held on 26.12.08, put up file administratively.

	71
	Escorts Heart Institute & Research Centre, 
Okhla Road ND-25
	222
	S-007
	26.05.06
	20.06.05  ( CTO Renewal)
	Authorization Valid till 03.07.09.2. Consent to operate expired on 11.06.08.
3. Compliance of letter issued on 26.05.08 received.
4. Stack Monitoring report of oil fired & CNG fired boiler submitted Concentration of      the Particulate Matter meeting the prescribed norms.
5. ETP effluent test report submitted. Analysed parameter meeting the prescribed norms.
6.  As decided on 29.09.08, letter was issued.Reply received dt. 24.11.08 regarding carryout the necessary  action for Adequecy  Report  for STP Plant from Jamia.
	Consent to Operate Granted  subject to the condition that CGWA clearance will be submitted within one month.
	Consent to Operateissued  with conditions.
	CGWA clearance to be filed by  December, 2008.
	Letter Issued
	Call on 29.01.2009
	____
	Issue final reminder for full compliance. Call on 02.03.2009

	72
	Altius Sonia Hospital, 1, Gulshan Park Main Rohtak Road, Nangloi, Delhi- 
	65
	W-376
	24.10.2008
	Not Applied
	1. Applied for fresh Authorization under BMW rules on 24.10.08
	________
	_______
	Dr. Joshi 's  Team  to inspect and report
	Inspected
	Deficiencies noted during the inspection may be communciated to the unit for quick correction latest by 29.01.2009. Call for personal hearing on 29.01.2009 at 3.20 PM..
	Letter issued
	The unit came for personal hearing today.  It has submitted the reply for the deficiencies  noted by inspection team. The reply may be examined and put up administratively if necessary otherwise call on 02.03.2009.

	73
	Dharamshila Cancer Hospital & Research Centre, Vasundhra Enclave, Delhi-96
	200
	E-005
	03.09.07
	CTE applied on 26.05.08
	1. Earlier it was in the BMW Committee No.3 but during inspection it was found that Hospital is having 200 beds hence case pertains to BMW Committee No. 1. 2. Reply receiced dt. 05.12.08 regarding the corrrection of bulit up area & total investment.
	______
	______
	Dr. Joshi 's  Team  to inspect and report
	Inspected
	Deficiencies noted during the inspection may be communciated to the unit for correction. Call on 29.01.2009.
	Letter issued
	Issue final reminder. Call on 02.03.2009

	74
	Shalaks Pharmaceuticals Pvt. Ltd., 12, DLF, Moti Nagar, Main Najafgarh Road, Delhi-15
	 
	 
	19.09.2008
	 
	1. Applied for Authorization under BMW Rules on 19.09.08.
	 
	 
	Dr. Joshi 's  Team  to inspect and report
	To be Inspected
	To be inspected. Call on 29.01.2009
	To be Inspected
	 Dr. Joshi's  team to inspect and report.Call on 02.03.2009. 

	75
	I.G.Homeo Remedies Pvt. Ltd 316, FIE Patparganj Industrial Area Delhi 92
	 
	 
	7.10.08
	 
	1. Applied for Authorization under BMW Rules on 07.10.08.
	 
	 
	Dr. Joshi 's  Team  to inspect and report
	To be Inspected
	To be inspected. Call on 29.01.2009
	To be Inspected
	Dr. Joshi's  team to inspect and report.

	76
	Analytical Testing Service (unit of solrex Pharmaceutical) E-47/9 Phase-II Okhla Industrial Area
	 
	 
	05.06.2008
	08.09.08 (CTE)
	1. Applied for Authorization under BMW Rules on 05.06.08.      2. Applied for CTE on 08.09.08               
	 
	 
	Dr. Joshi 's  Team  to inspect and report
	To be Inspected
	To be inspected. Call on 29.01.2009
	To be Inspected
	Dr. Joshi's  team to inspect and report.

	77
	M/s. Alde Medi Impex Ltd. 
K-33, Udyog Nagar, Rohtak Road,
Delhi-110041
	 
	 
	Not Applied
	 
	As decided on 29.09.08, this unit was added in the list of  Pvt  cases / units.Letter return back with the remarks of postman that the unit has left the adderess.
	Issue notice for submitting application for authorization under BMW Rules without waiting for minutes of meeting.Call on 28.11.2008.
	Notice Issued
	Issue reminder for Authorization . Dr. Chetna to speak and expedite.
	Reminder Issued
	Call on 29.01.2009
	____
	Dr. Joshi's  team to inspect and report.

	78
	M/s Ambey  Laboratories, 
D-10, DSIDC Industrial Complex, Rohtak Road, Delhi-110041
	 
	 
	05.11.08
	 
	1. Applied for Authorization under BMW Rules on 05.11.08
	Issue notice for submitting application for authorization under BMW Rules without waiting for minutes of meeting.Call on 28.11.2008.
	Notice Issued
	Dr. Joshi 's  Team  to inspect and report
	To be Inspected
	To be inspected. Call on 29.01.2009
	To be Inspected
	Dr. Joshi's  team to inspect and report.

	79
	M/s Arora  Pharmaceuticals (P) Ltd.
C-35/13, Lawrence Road Indl                                                                                                                          Area, Delhi-110035
	 
	 
	Not Applied
	03.11.08 (CTE)
	1.As decided on 29.09.08, this unit was added in the list of  Pvt  cases / units.2. Applied for CTE on 03.11.08.
	Issue notice for submitting application for authorization under BMW Rules without waiting for minutes of meeting.Call on 28.11.2008.
	Notice Issued
	Issue reminder for Authorization . Dr. Chetna to speak and expedite.
	Reminder Issued
	Call on 29.01.2009
	____
	Dr. Joshi's  team to inspect and report.

	80
	M/s Care and Cure Pharmaceuticals Pvt. Ltd.
164, Naharpur Village,
Delhi-110085
	 
	 
	Not Applied
	 
	As decided on 29.09.08, this unit was added in the list of  Pvt  cases / units.
	Issue notice for submitting application for authorization under BMW Rules without waiting for minutes of meeting.Call on 28.11.2008.
	Notice Issued
	Issue reminder for Authorization . Dr. Chetna to speak and expedite.
	Reminder Issued
	Dr. Chetna to speak. Call on 29.01.2009.
	Communication could not be done through available contact number.
	Call for personal hearing on 02.03.2009 at 3.40 PM.

	81
	M/s Chempo Biologicals, A-50, G.T. Karnal Road Industrial Area,
Delhi-110033
	 
	 
	Not Applied
	 
	As decided on 29.09.08, this unit was added in the list of  Pvt  cases / units.
	Issue notice for submitting application for authorization under BMW Rules without waiting for minutes of meeting.Call on 28.11.2008.
	Notice Issued
	Issue reminder for Authorization . Dr. Chetna to speak and expedite.
	Reminder Issued
	Dr. Chetna to speak. Call on 29.01.2009.
	Dr. Chetna spoken
	Dr. Joshi's  team to inspect and report.

	82
	M/s Chempo Drugs,
A-50, G.T. Karnal Road Industrial Area,
Delhi-110033
	 
	 
	Not Applied
	 
	As decided on 29.09.08, this unit was added in the list of  Pvt  cases / units.
	Issue notice for submitting application for authorization under BMW Rules without waiting for minutes of meeting.Call on 28.11.2008.
	Notice Issued
	Issue reminder for Authorization . Dr. Chetna to speak and expedite.
	Reminder Issued
	Dr. Chetna to speak. Call on 29.01.2009.
	Dr. Chetna spoken
	Dr. Joshi's  team to inspect and report.

	83
	M/s Cooper  Pharma,
B-59, Wazirpur Industrial Area,
Delhi-110052
	 
	 
	Not Applied
	 
	As decided on 29.09.08, this unit was added in the list of  Pvt  cases / units.
	Issue notice for submitting application for authorization under BMW Rules without waiting for minutes of meeting.Call on 28.11.2008.
	Notice Issued
	Issue reminder for Authorization . Dr. Chetna to speak and expedite.
	Reminder Issued
	Dr. Chetna to speak. Call on 29.01.2009.
	Dr. Chetna spoken
	Ask the CMC to shift the file of consent of this unit to CMC(BMW). Call on 02.03.2009

	84
	M/s Dr. Wadhawa  Chemicals Works,
F-14/58, Model Town, 
Delhi-110009.
	 
	 
	Not Applied
	 
	As decided on 29.09.08, this unit was added in the list of  Pvt  cases / units.Letter return back with the remarks of postman that the unit is closed from long time.
	Issue notice for submitting application for authorization under BMW Rules without waiting for minutes of meeting.Call on 28.11.2008.
	Notice Issued
	Issue reminder for Authorization . Dr. Chetna to speak and expedite.
	Reminder Issued
	Dr. Chetna to speak. Call on 29.01.2009.
	Dr. Chetna spoken
	Dr. Joshi's  team to inspect and report.

	85
	M/s Dr. Wadhwa Pharmaceuticals, G-40/2, Lawarence Road,
Delhi-110035. 
	 
	 
	Not Applied
	 
	As decided on 29.09.08, this unit was added in the list of  Pvt  cases / units.
	Issue notice for submitting application for authorization under BMW Rules without waiting for minutes of meeting.Call on 28.11.2008.
	Notice Issued
	Issue reminder for Authorization . Dr. Chetna to speak and expedite.
	Reminder Issued
	Dr. Chetna to speak. Call on 29.01.2009.
	Dr. Chetna spoken
	Dr. Joshi's  team to inspect and report.

	86
	M/s Gopesh Pharma, H-1455, DSIDC, Narela Indl. Park, Narels, Delhi-110040.
	 
	 
	24.09.08
	 
	1.As decided on 29.09.08, this unit was added in the list of  Pvt  cases / units.2.Authorization under BMW applied on 24.09.08
	SIT to inspect. Call on 28.11.2008. 
	To be inspected.
	SIT to inspect and report. Call on 29.12.2008
	 
	Deficiencies noted by SIT during the inspection may be communciated to the unit for correction latest by 29.01.2009. Call for personal hearing on 29.01.2009 at 3.30 PM..
	Letter issued.
	The unit came for personal hearing today. It claims that it has not received the letter showing SIT's deficiencies. A copy was given to him across the table. He assured that a reply will be given within a week's time. Call on 02.03.2009. 

	87
	M/s La Grande  Pvt. Ltd.,
G-40/2, Lawrence Road,
Delhi-110035.
	 
	 
	Not Applied
	 
	As decided on 29.09.08, this unit was added in the list of  Pvt  cases / units.
	Issue notice for submitting application for authorization under BMW Rules without waiting for minutes of meeting.Call on 28.11.2008.
	Notice Issued
	Issue reminder for Authorization . Dr. Chetna to speak and expedite.
	Reminder Issued
	Call on 29.01.2009
	____
	Dr. Joshi's  team to inspect and report.

	88
	M/s Nav Bharat Impex, C-24, Lawreance Road, Industrial Area,
Delhi-110035
	 
	 
	Not Applied
	 
	1.As decided on 29.09.08, this unit was added in the list of  Pvt  cases / units.2.With respect to SCN issued reply recived stating that no BMW is generated in the manufacturing process of Menthol Crystal and Peppermint oil in which they  are engaged . 
	Issue notice for submitting application for authorization under BMW Rules without waiting for minutes of meeting.Call on 28.11.2008.
	Notice Issued
	Dr. Joshi 's  Team  to inspect and report
	To be Inspected
	To be inspected. Call on 29.01.2009
	To be Inspected
	Dr. Joshi's  team to inspect and report.

	89
	M/s. Nice  Pharmaceuticals,
G-40/1, Lawrence Road, Industrial Area,
Delhi-110035
	 
	 
	Not Applied
	 
	As decided on 29.09.08, this unit was added in the list of  Pvt  cases / units.
	Issue notice for submitting application for authorization under BMW Rules without waiting for minutes of meeting.Call on 28.11.2008.
	Notice Issued
	Issue reminder for Authorization . Dr. Chetna to speak and expedite.
	Reminder Issued
	Dr. Chetna to speak. Call on 29.01.2009.
	Dr. Chetna spoken
	Dr. Joshi's  team to inspect and report.

	90
	M/s Nice Remedies,A-61/2, G.T. Karnal Road, Industrial Area,
Delhi-110033
	 
	 
	Applied on 09.01.09
	 
	As decided on 29.09.08, this unit was added in the list of  Pvt  cases / units. applied for the Authorization under BMW Rules on 09.01.09.
	Issue notice for submitting application for authorization under BMW Rules without waiting for minutes of meeting.Call on 28.11.2008.
	Notice Issued
	Issue reminder for Authorization . Dr. Chetna to speak and expedite.
	Reminder Issued
	Dr. Chetna to speak. Call on 29.01.2009.
	Dr. Chetna spoken
	Dr. Joshi's  team to inspect and report.

	91
	Standford Laboratories Pvt. Ltd.K-30, Udyog Nagar Industrial Area, Phase-I
Delhi-110041
	 
	 
	Not Applied
	 
	As decided on 29.09.08, this unit was added in the list of  Pvt  cases / units.Letter return back with the remarks of postman that the unit has left the adderess.
	Issue notice for submitting application for authorization under BMW Rules without waiting for minutes of meeting.Call on 28.11.2008.
	Notice Issued
	Issue reminder for Authorization . Dr. Chetna to speak and expedite.
	Reminder Issued
	Dr. Chetna to speak. Call on 29.01.2009.
	Dr. Chetna spoken
	Dr. Joshi's  team to inspect and report.

	92
	M/s. Swarn Enterprises,I-5, Badli Indl. Area, Delhi
	 
	 
	Applied on 19.12.08
	 
	As decided on 29.09.08, this unit was added in the list of  Pvt  cases / units. Reply received dated 20.01.09  stating that they have applied for the Authorization under BMW Rules on 19.12.08.
	Issue notice for submitting application for authorization under BMW Rules without waiting for minutes of meeting.Call on 28.11.2008.
	Notice Issued
	Issue reminder for Authorization . Dr. Chetna to speak and expedite.
	Reminder Issued
	Dr. Chetna to speak. Call on 29.01.2009.
	Dr. Chetna spoken
	Dr. Joshi's  team to inspect and report.

	93
	M/s. Sisla Laboratories J-2050, DSIDC, Indl. Area Narela, 
Delhi-110040
	 
	 
	Not Applied
	 
	As decided on 29.09.08, this unit was added in the list of  Pvt  cases / units.
	Issue notice for submitting application for authorization under BMW Rules without waiting for minutes of meeting.Call on 28.11.2008.
	Notice Issued
	Issue reminder for Authorization . Dr. Chetna to speak and expedite.
	Reminder Issued
	Dr. Chetna to speak. Call on 29.01.2009.
	Dr. Chetna spoken
	Dr. Joshi's  team to inspect and report.

	94
	M/s Bio  Laboratories,
I-2118, DSIDC Narela Indl. Area,
Delhi-110040
	 
	 
	Not Applied
	 
	As decided on 29.09.08, this unit was added in the list of  Pvt  cases / units. .
	Issue notice for submitting application for authorization under BMW Rules without waiting for minutes of meeting.Call on 28.11.2008.
	Notice Issued
	Issue reminder for Authorization . Dr. Chetna to speak and expedite.
	Reminder Issued
	Dr. Chetna to speak. Call on 29.01.2009.
	Dr. Chetna spoken
	Dr. Joshi's  team to inspect and report.

	95
	M/s. Chemo  Biological,
A-50, G.T. Karnal Road, Industrial Area,
Delhi-110033
	 
	 
	Not Applied
	 
	As decided on 29.09.08, this unit was added in the list of  Pvt  cases / units.Reply dated 08.01.09 received stating that they have stopped manufacturing activities since 02.11.07. Copy of cancellation of Drugs manufacturing Licence is attached alongwith
	Issue notice for submitting application for authorization under BMW Rules without waiting for minutes of meeting.Call on 28.11.2008.
	Notice Issued
	Issue reminder for Authorization . Dr. Chetna to speak and expedite.
	Reminder Issued
	Dr. Chetna to speak. Call on 29.01.2009.
	Dr. Chetna spoken
	Dr. Joshi's  team to inspect and report.

	96
	M/s. Wang Laboratories International, Office No. 2-IInd Floor, Plot No. 7, Local
Shopping Centre, Karampura,
New Delhi
C/o M/s Tose International Pvt. Ltd.,
H-1429, 1441, DSIDC Indl Area, Narela,
Delhi-110040.
	 
	 
	Not Applied
	 
	As decided on 29.09.08, this unit was added in the list of  Pvt  cases / units.
	Issue notice for submitting application for authorization under BMW Rules without waiting for minutes of meeting.Call on 28.11.2008.
	Notice Issued
	Dr. Joshi 's  Team  to inspect and report
	To be Inspected
	To be inspected. Call on 29.01.2009
	To be Inspected
	Dr. Joshi's  team to inspect and report.

	97
	M/s. Atlanta Pharmaceuticals Off. No. 1, IInd Floor, Plot No. 7, Local
Shopping Centre, Karampura,
New Delhi-110015.
C/o M/s Tose International Pvt. Ltd.,
H-1429, 1441, DSIDC Indl Area, Narela,
Delhi-110040.
	 
	 
	Not Applied
	 
	As decided on 29.09.08, this unit was added in the list of  Pvt  cases / units.
	Issue notice for submitting application for authorization under BMW Rules without waiting for minutes of meeting.Call on 28.11.2008.
	Notice Issued
	Issue reminder for Authorization . Dr. Chetna to speak and expedite.
	Reminder Issued
	Dr. Chetna to speak. Call on 29.01.2009.
	Dr. Chetna spoken
	Dr. Joshi's  team to inspect and report.

	98
	M/s Dr. Wellman’s Homoeopathic Laboratories Ltd., AM-4, Dilkhus Indl Estate, G.T. Karnal Road, Delhi-110035. 
	 
	 
	Not Applied
	Applied for CTO & CTE on 03.12.08
	1.As decided on 29.09.08, this unit was added in the list of  Pvt  cases / units.2.Applied for Consent to Operate & Consent to Establish on 03.12.08
	Issue notice for submitting application for authorization under BMW Rules without waiting for minutes of meeting.Call on 28.11.2008.
	Notice Issued
	Issue reminder for Authorization . Dr. Chetna to speak and expedite.
	Reminder Issued
	Call on 29.01.2009
	____
	Dr. Joshi's  team to inspect and report.

	99
	M/s Dr. Wellman’s  Homoeopathic Laboratories
Ltd., A-108, Wazirpur Industrial Area,
Delhi-110052
	 
	 
	Not Applied
	 
	As decided on 29.09.08, this unit was added in the list of  Pvt  cases / units.
	Issue notice for submitting application for authorization under BMW Rules without waiting for minutes of meeting.Call on 28.11.2008.
	Notice Issued
	Issue reminder for Authorization . Dr. Chetna to speak and expedite.
	Reminder Issued
	Call on 29.01.2009
	____
	Dr. Joshi's  team to inspect and report.

	100
	JVS Pharma Co.,A-108, Wazirpur Indl. Area,
Delhi-110052.
	 
	 
	Not Applied
	 
	As decided on 29.09.08, this unit was added in the list of  Pvt  cases / units.
	Issue notice for submitting application for authorization under BMW Rules without waiting for minutes of meeting.Call on 28.11.2008.
	Notice Issued
	Issue reminder for Authorization . Dr. Chetna to speak and expedite.
	Reminder Issued
	Dr. Chetna to speak. Call on 29.01.2009.
	Dr. Chetna spoken
	Dr. Joshi's  team to inspect and report.

	101
	M/s. Abyss Pharma (P) Ltd.,B-121, Phase-I, Mayapuri, 
New Delhi-110064.
	 
	 
	24.09.08
	 
	1.As decided on 29.09.08, this unit was added in the list of  Pvt  cases / units.2.. Applied for Authorization under BMW rules on 24.09.08
	SIT to inspect. Call on 28.11.2008.
	Inspected.
	Unit   to install separate chemical dosing tank with mixing device along with water connection in the ETP and hazardou waste needs to be maintained properly as per HW Rules. Ask the unit to apply for Consent to Establish.
	Letter Issued
	Call on 29.01.2009
	____
	Dr. Joshi's  team to inspect and report.

	102
	M/s. Alpine Industries,A-67, Naraina Industrial Area, Phase-I,
New Delhi-110015.
	 
	 
	Not Applied
	 
	As decided on 29.09.08, this unit was added in the list of  Pvt  cases / units.
	Issue notice for submitting application for authorization under BMW Rules without waiting for minutes of meeting.Call on 28.11.2008.
	Notice Issued
	Issue reminder for Authorization . Dr. Chetna to speak and expedite.
	Reminder Issued
	Dr. Chetna to speak. Call on 29.01.2009.
	Communication could not be done through available contact number
	Dr. Joshi's  team to inspect and report.

	103
	M/s. Arbro Pharmaceuticals Limited, 6/14, Kirti Nagar Industrial Area, New Delhi-110015
	 
	 
	11.08.08
	 
	1.As decided on 29.09.08, this unit was added in the list of  Pvt  cases / units.2. Applied for Authorization under BMW rules on 11.08.08
	SIT to  inspect.Call on 28.11.2008. 
	Inspected.
	Unit  to  install proper platform with approach ladder in the reaction tank and provide separate chemical dosing tank with mixing device along with water connection in the ETP. Unit to also provide adequate stack height with the D.G. Sets of 160 KVA & 125 KVA. .Ask the unit to apply for Consent to Establish and  submit CGWA clearance .
	Letter Issued
	Call on 29.01.2009
	____
	Dr. Joshi's  team to inspect and report.

	104
	M/s. Bio Laboratories,3026/7, Ranjit Nagar,
Delhi-110008
	 
	 
	11.11.2008
	 
	1.As decided on 29.09.08, this unit was added in the list of  Pvt  cases / units.2. Applied for Authorization under BMW rules on 11.11.08
	Issue notice for submitting application for authorization under BMW Rules without waiting for minutes of meeting.Call on 28.11.2008.
	Notice Issued
	Dr. Joshi 's  Team  to inspect and report
	To be Inspected
	Call on 29.01.2009
	____
	Dr. Joshi's  team to inspect and report.

	105
	M/s. Grand Chemicals Works,
C-212/2, Mayapuri Industrial Area,
New Delhi-11064
	 
	 
	Applied on 01.01.09
	 
	1.As decided on 29.09.08, this unit was added in the list of  Pvt  cases / units.2.Reply received dt. 22.11.08 regarding BMW Auhtorization , submitting the copy of agreement with synergy
	Issue notice for submitting application for authorization under BMW Rules without waiting for minutes of meeting.Call on 28.11.2008.
	Notice Issued
	Call for personal hearing on 29.12.2008 at 3.50 PM.
	Letter Issued
	The unit came for personal hearting today. It will apply for authorization under BMW Rules within a week. Let the unit do so. Call on 29.01.2009.
	Letter issued
	Dr. Joshi's  team to inspect and report.

	106
	M/s. Indus Pharma Pvt. Ltd.,
5/2, Kirti Nagar Industrial Area,
New Delhi-110015
	 
	 
	Not Applied
	 
	As decided on 29.09.08, this unit was added in the list of  Pvt  cases / units.
	Issue notice for submitting application for authorization under BMW Rules without waiting for minutes of meeting.Call on 28.11.2008.
	Notice Issued
	Issue reminder for Authorization . Dr. Chetna to speak and expedite.
	Reminder Issued
	Dr. Chetna to speak. Call on 29.01.2009.
	Dr. Chetna spoken
	Dr. Joshi's  team to inspect and report.

	107
	M/s. J.K.  Remedies,
8/41, Kirti Nagar Industrial Area,
New Delhi-110015
	 
	 
	17.09.08
	 
	1.As decided on 29.09.08, this unit was added in the list of  Pvt  cases / units.2. Applied for Authorization on 17.09.08
	SIT to inspect . Call on 28.11.2008. 
	Inspected.
	As per SIT report, conditon of ETP  indicates that ETP was not being operated regularly.  Unit  to install separate chemical dosing tank with mixing device along with water connection in the ETP. Ask the unit to apply for Consent to Establish  and  submit CGWA clearance .
	Letter Issued
	Call on 29.01.2009
	____
	Dr. Joshi's  team to inspect and report.

	108
	M/s. New Loyds Surgico, B-15, DSIDC Complex, Industrial Area,
Kirti Nagar,
New Delhi-110015
	 
	 
	Not Applied
	 
	As decided on 29.09.08, this unit was added in the list of  Pvt  cases / units.
	Issue notice for submitting application for authorization under BMW Rules without waiting for minutes of meeting.Call on 28.11.2008.
	Notice Issued
	Issue reminder for Authorization . Dr. Chetna to speak and expedite.
	Reminder Issued
	Dr. Chetna to speak. Call on 29.01.2009.
	Communication could not be done through available contact number
	Dr. Joshi's  team to inspect and report.

	109
	M/s. Tribhawan  Injectables,
8/39, Kirti Nagar Industrial Area, 
New Delhi-110015
	 
	 
	01.09.08
	 
	1.As decided on 29.09.08, this unit was added in the list of  Pvt  cases / units.2. Applied for Authorization on 01.09.08
	SIT to inspect. Call on 28.11.2008. 
	Inspected.
	 As per SIT report unit  to  manage hazardous waste as per the HW Rules.and provide  proper acoustic enclosure and adequate stack ehight  with D.G. Set of 10 KVA. Ask the unit to apply for Consent to Establish.
	Letter Issued
	Call on 29.01.2009
	____
	Dr. Joshi's  team to inspect and report.

	110
	M/s. Wang Pharmaceuticals & Chemicals,35-A, Goyala Khurd, Near Najafgrah,
Delhi
	 
	 
	Not Applied
	 
	As decided on 29.09.08, this unit was added in the list of  Pvt  cases / units. Reply received dated 22.10.08 stating that they are not generating any BMW.
	Issue notice for submitting application for authorization under BMW Rules without waiting for minutes of meeting.Call on 28.11.2008.
	Notice Issued
	Dr. Joshi 's  Team  to inspect and report
	To be Inspected
	Dr. Chetna to speak. Call on 29.01.2009.
	Dr. Chetna spoken
	Dr. Joshi's  team to inspect and report.

	111
	M/s. Hahnemann  Pharmaceuticals (P) Ltd.,
A-7, Narain Industrial Area, Phase-I,
New Delhi-110028
	 
	 
	Not Applied
	Applied for CTE on 21.10.08
	1.As decided on 29.09.08, this unit was added in the list of  Pvt  cases / units.2. Reply dated 21.10.08 received stating that this unit is manufacturing cosmetics & perfumery and homeopathic medicines, and does not generate any BMW.                                     3Applied for CTE on 21.10.08
	Issue notice for submitting application for authorization under BMW Rules without waiting for minutes of meeting.Call on 28.11.2008.
	Notice Issued
	Dr. Joshi 's  Team  to inspect and report
	To be Inspected
	Dr. Chetna to speak. Call on 29.01.2009.
	Dr. Chetna spoken
	Exempted for authorization under BMW Rules.

	112
	Narm Pharmaceuticals, A-9611, Mayapuri Industrial Area,
New Delhi-110064.
	 
	 
	Not Applied
	 
	As decided on 29.09.08, this unit was added in the list of  Pvt  cases / units.Letter return back with the remarks of postman that the unit has left the adderess.
	Issue notice for submitting application for authorization under BMW Rules without waiting for minutes of meeting.Call on 28.11.2008.
	Notice Issued
	Issue reminder for Authorization . Dr. Chetna to speak and expedite.
	Reminder Issued
	Dr. Chetna to speak. Call on 29.01.2009.
	Contact No. not Available.
	Dr. Joshi's  team to inspect and report.

	113
	M/s. Asclepius  Pharmaceuticals Pvt. Ltd.,
F-34/7, Okhla Area, Phase –II,
New Delhi-110020
	 
	 
	Not Applied
	 
	As decided on 29.09.08, this unit was added in the list of  Pvt  cases / units.
	Issue notice for submitting application for authorization under BMW Rules without waiting for minutes of meeting.Call on 28.11.2008.
	Notice Issued
	Issue reminder for Authorization . Dr. Chetna to speak and expedite.
	Reminder Issued
	Dr. Chetna to speak. Call on 29.01.2009.
	Dr. Chetna spoken
	Dr. Joshi's  team to inspect and report.

	114
	M/s. J. Mitra & Co. Ltd.,A-180, Okhla Industrial Area,
New Delhi-110020
	 
	 
	24.06.08
	 
	1.As decided on 29.09.08, this unit was added in the list of  Pvt  cases / units. 2. Applied for  Authorization  under BMW rules on 24.06.08
	SIT to  inspect. Call on 28.11.2008 N124
	Inspected.
	Consent under green  category  obtained by the unit be revoked. Ask the unit to apply  for Consent to Establish  under orange category. Unit to install  ETP for treatment of waste water  generated from screen printing  activity etc.  Ask the unit to submit CGWA clearance  and provide details of the  other unit & its activities in the premises No. 181 which is adjoining to this unit. 
	 
	Call on 29.01.2009
	____
	Dr. Joshi's  team to inspect and report.

	115
	M/s. Kidney Care Fludis (P) Ltd.,A-45, Okhla Industrial Area, Phase-I,
New Delhi-110020.
	 
	 
	Not Applied
	 
	As decided on 29.09.08, this unit was added in the list of  Pvt  cases / units.
	Issue notice for submitting application for authorization under BMW Rules without waiting for minutes of meeting.Call on 28.11.2008.
	Notice Issued
	Issue reminder for Authorization . Dr. Chetna to speak and expedite.
	Reminder Issued
	Dr. Chetna to speak. Call on 29.01.2009.
	Contact No. not Available.
	Dr. Joshi's  team to inspect and report.

	116
	M/s. MANB Health Care,Y-12, Okhla Indutrial Area, Phase-II, 
New Delhi-110020
	 
	 
	Not Applied
	 
	As decided on 29.09.08, this unit was added in the list of  Pvt  cases / units.
	Issue notice for submitting application for authorization under BMW Rules without waiting for minutes of meeting.Call on 28.11.2008.
	Notice Issued
	Issue reminder for Authorization . Dr. Chetna to speak and expedite.
	Reminder Issued
	Dr. Chetna to speak. Call on 29.01.2009.
	Contact No. not Available.
	Dr. Joshi's  team to inspect and report.

	117
	M/s. New Life Pharmaceuticals,A-240, Okhla Industrial Area, Phase-I,
New Delhi-110020
	 
	 
	Applied on 28.11.08
	 
	1.As decided on 29.09.08, this unit was added in the list of  Pvt  cases / units. 2.Applied for Authorization on 28.11.08 Under BMW Rules. 3. 
	Issue notice for submitting application for authorization under BMW Rules without waiting for minutes of meeting.Call on 28.11.2008.
	Notice Issued
	Issue reminder for Authorization . Dr. Chetna to speak and expedite.
	Reminder Issued
	Call on 29.01.2009
	____
	Dr. Joshi's  team to inspect and report.

	118
	M/s. Pine Pharma Pvt. Limited,91/2, Okhla Industrial Area-I,
New Delhi-110020.
	 
	 
	Not Applied
	 
	As decided on 29.09.08, this unit was added in the list of  Pvt  cases / units.
	Issue notice for submitting application for authorization under BMW Rules without waiting for minutes of meeting.Call on 28.11.2008.
	Notice Issued
	Issue reminder for Authorization . Dr. Chetna to speak and expedite.
	Reminder Issued
	Dr. Chetna to speak. Call on 29.01.2009.
	Dr. Chetna spoken
	Dr. Joshi's  team to inspect and report.

	119
	M/s. Radicura Pharmaceuticals Pvt. Ltd.,B-117, Okhla Industrial Area-I,
New Delhi-110020
	 
	 
	19.03.08
	 
	1.As decided on 29.09.08, this unit was added in the list of  Pvt  cases / units. 2.Applied for Authorization under BMW rules on 19.03.08 3. reply dsated 07.01.09 received informing that Central Board For the Prevention and Control of Water Pollution had already given their Consent to Establish.
	SIT to inspect. Call on 28.11.2008.
	Inspected.
	 Issue Authorization under BMW Rules. Ask the unit to apply for Consent to Establish .
	Authorization Issued
	Call on 29.01.2009
	____
	Dr. Joshi's  team to inspect and report.

	120
	M/s. Ranbaxy Fine Chemicals,(Diagnostic Division),  A-3, Okhla Phase-I,
New Delhi-110020.
	 
	 
	Not Applied
	 
	 
	Issue notice for submitting application for authorization under BMW Rules without waiting for minutes of meeting.Call on 28.11.2008.
	Notice Issued
	Issue reminder for Authorization . Dr. Chetna to speak and expedite.
	Reminder Issued
	Dr. Chetna to speak. Call on 29.01.2009.
	Communication could not be done through available contact number
	Dr. Joshi's  team to inspect and report.

	121
	M/s. Stericat Gustring Pvt. Ltd.E-25/B-1, Mohan Co-Op. Indl Area,
Mathura Road, New Delhi-110044
	 
	 
	Not Applied
	 
	1. Replied w.r.t. SCN issued and stated that they have stopped all manufacturing activities.
	Issue notice for submitting application for authorization under BMW Rules without waiting for minutes of meeting.Call on 28.11.2008.
	Notice Issued
	Dr. Joshi 's  Team  to inspect and report
	To be Inspected
	Dr. Chetna to speak. Call on 29.01.2009.
	Dr. Chetna spoken
	Dr. Joshi's  team to inspect and report.

	122
	Surgi Media D-9/1, Ph-I, Okhla Indl Area, 
New Delhi- 110020.
	 
	 
	Not Applied
	 
	As decided on 29.09.08, this unit was added in the list of  Pvt  cases / units.
	Issue notice for submitting application for authorization under BMW Rules without waiting for minutes of meeting.Call on 28.11.2008.
	Notice Issued
	Issue reminder for Authorization . Dr. Chetna to speak and expedite.
	To be Inspected
	Dr. Chetna to speak. Call on 29.01.2009.
	Contact No. not Available.
	Dr. Joshi's  team to inspect and report.

	123
	M/s. Unimax Pharmaceuticals (P) Ltd.C-57,  Okhla Industrial Area, Phase-I, 
New Delhi-110020
	 
	 
	25.03.08
	 
	1. As decided on 29.09.08, this unit was added in the list of  Pvt  cases / units.2. Applied for Authorization under BMW rules on 25.03.08
	SIT to inspect.  Call on 28.11.2008.N130
	To be inspected.
	SIT to inspect and report. Call on 29.12.2008
	 
	Deficiencies noted by SIT during the inspection may be communciated to the unit for correction Call fon 29.01.2009 .
	Letter issued
	Ask the unit to file reply to the deficiencies noted by SIT. Call on 02.03.2009

	124
	M/s. Uttam Air Products Pvt. Ltd.F-90/5, Okhla Industrial Area,
New Delhi-110020.
	 
	 
	Not Applied
	 
	As decided on 29.09.08, this unit was added in the list of  Pvt  cases / units. 2. Reply dated 03.01.09 received stating that they are manufacturing of Medical Oxygen for which raw material is only atomspheric Air, they are certifying that they is no generation of BMW.
	Issue notice for submitting application for authorization under BMW Rules without waiting for minutes of meeting.Call on 28.11.2008.
	Notice Issued
	Issue reminder for Authorization . Dr. Chetna to speak and expedite.
	Reminder Issued
	Dr. Chetna to speak. Call on 29.01.2009.
	Communication could not be done through available contact number
	Dr. Joshi's  team to inspect and report.

	125
	M/s R.P.L. (India) Pharmaceuticals (P) Ltd. D-8/6, Okhla Industrial Area Phase-I, New Delhi-110020
	 
	 
	25.03.08
	 
	1.Applied for Authorization under BMW Rules on 25.3.08
	SIT to inspect.  Call on 28.11.2008.
	To be inspected.
	SIT to inspect and report. Call on 29.12.2008
	 
	Deficiencies noted by SIT during the inspection may be communciated to the unit for correction Call fon 29.01.2009 .
	Letter issued
	Dr. Joshi's  team to inspect and report.

	126
	M/s. H.C. Sen & Company 5A/1, Darya Ganj. Ansari Road,
New Delhi-110006
	 
	 
	Not Applied
	 
	As decided on 29.09.08, this unit was added in the list of  Pvt  cases / units.
	Issue notice for submitting application for authorization under BMW Rules without waiting for minutes of meeting.Call on 28.11.2008.
	Notice Issued
	Issue reminder for Authorization . Dr. Chetna to speak and expedite.
	Reminder Issued
	Dr. Chetna to speak. Call on 29.01.2009.
	Contact No. not Available.
	Dr. Joshi's  team to inspect and report.

	127
	M/s. Medochem Laboratories Pvt. Ltd. 624/4A,Vishwas Nagar,Shahdara Delhi-110032
	 
	 
	Not Applied
	 
	As decided on 29.09.08, this unit was added in the list of  Pvt  cases / units.
	Issue notice for submitting application for authorization under BMW Rules without waiting for minutes of meeting.Call on 28.11.2008.
	Notice Issued
	Issue reminder for Authorization . Dr. Chetna to speak and expedite.
	Reminder Issued
	Dr. Chetna to speak. Call on 29.01.2009.
	Dr. Chetna spoken
	Dr. Joshi's  team to inspect and report.

	128
	M/s Best Laboratories,C-53, Phase-II, Okhla Industrial area, New Delhi-110020.
	 
	 
	applied on 22.5.08
	 
	1.As decided on 29.09.08, this unit was added in the list of  Pvt  cases / units. 2.Applied for  Authorization under BMW rules on 22.05.08
	Issue notice for submitting application for authorization under BMW Rules without waiting for minutes of meeting.Call on 28.11.2008.
	Notice Issued
	Dr. Joshi 's  Team  to inspect and report
	To be Inspected
	Call on 29.01.2009
	____
	Dr. Joshi's  team to inspect and report.

	129
	M/s U.K.Phama 4/2611, Bihari Colony, Delhi-110032
	 
	 
	Not Applied
	 
	As decided on 29.09.08, this unit was added in the list of  Pvt  cases / units.
	Issue notice for submitting application for authorization under BMW Rules without waiting for minutes of meeting.Call on 28.11.2008.
	Notice Issued
	Issue reminder for Authorization . Dr. Chetna to speak and expedite.
	Reminder Issued
	Dr. Chetna to speak. Call on 29.01.2009.
	Communication could not be done through available contact number
	Dr. Joshi's  team to inspect and report.

	130
	M/s Frontie Chemical Works A-6/3, Jhilmil Indl.Area, Delhi
	 
	 
	Not Applied
	 
	As decided on 29.09.08, this unit was added in the list of  Pvt  cases / units.
	Issue notice for submitting application for authorization under BMW Rules without waiting for minutes of meeting.Call on 28.11.2008.
	Notice Issued
	Issue reminder for Authorization . Dr. Chetna to speak and expedite.
	Reminder Issued
	Dr. Chetna to speak. Call on 29.01.2009.
	Communication could not be done through available contact number
	Dr. Joshi's  team to inspect and report.

	131
	M/s. Logotech India Pvt. Ltd., 
403, Patparganj Indl Area, Patparganj
New Delhi.
	 
	 
	Not Applied
	 
	1.As decided on 29.09.08, this unit was added in the list of  Pvt  cases / units. 2.Reply received dt. 22.11.08 regarding BMW Auhtorization , submitting the copy of agreement with synergy
	Issue notice for submitting application for authorization under BMW Rules without waiting for minutes of meeting.Call on 28.11.2008.
	Notice Issued
	Call for personal hearing on 29.12.2008 at 4.00 PM.
	Letter Issued
	The unit came for personal hearting today. It will apply for authorization under BMW Rules within a week. Let the unit do so. Call on 29.01.2009.
	Letter issued
	Dr. Joshi's  team to inspect and report.

	132
	M/s Shanti Nursing Home limited, E-1, Panchsheel Park,                          Naveen Shahdara, Delhi
	20
	 
	Applied
	 
	M/s Shanti Nursing Home limited, E-1, Panchsheel Park, Naveen Shahdara, Delhi was inspected by the trainee BMW as directed by Chairman DPCC, w.r.t complaint received  & as decided by the Committee  the matter was  taken up in the previous meeting of the Committee held on 27.08.08 and as decided in the said meeting the case was put on file . The Nursing Home is 20 bedded & case pertains to BMW Committee No.2. As decided on file action is being taken . 
	Put up the file administratively.
	 
	Call on 29.12.2008
	No Action
	Call on 29.01.2009
	____
	Dr. Joshi's  team to inspect and report.

	1`33
	 M/s Ayush Therapy Centre, C-62, Ist Floor, Preet Vihar, Delhi                        -92
	 
	 
	Applied on 05.01.09
	 
	Regarding  Advertisement in the News Paper by Ayush Therapy Centre  as decided by the Committee in the meeting on 27.08.08 ,  an inspection of  one of the therapy Centre of Ayush in Preet Vihar Area of  Delhi  ( M/s Ayush Therapy Centre, C-62, Ist Floor, Preet Vihar, Delhi -92) was conducted by a Team  as directed by Chairman DPCC. The Centre found engaged in activity of massage using herbal / ayurvedic oil. About 100 no of people are coming to the centre per month. Oil & Grease trap not provided .  Letters were issued as decided by the Committee and the unit applied for authorization on   05.01.09.                   

	Issue notice for submitting application for authorization under BMW Rules. Call on  28.11.2008
	Notice Issued
	Issue reminder for Authorization . Dr. Chetna to speak and expedite.
	Reminder Issued
	Dr. Chetna to speak. Call on 29.01.2009.
	Dr. Chetna spoken
	Ask the unit to install oil & grease trap. Call on 02.03.2009

	134
	M/s Aspen Laboratories Pvt. Ltd.,
B-82, G.T. Karnal Road, Industrial Area,
Delhi-110033
	 
	 
	27.04.07.
	Having CTE & CTR both
	During the inspection of M/s Jagat Diagnostic Pvt. Ltd. B -82 , G.T.K. Road  Industrial Area,  Delhi-33 on 20.08.08, as decided by the Committee, In the same premises another unit M/s  Aspen Laboratories Pvt. Ltd. was also found operating  which imports drugs/ Testing kits used for HIV etc. and generates Bio-Medical Waste & having  agreement with  one of the Common Operators for BMW Treatment & disposal Deficiencies observed w.r.t  compliance of BMW Rules.This unit has applied for authorization under the BMW Rules to DPCC.    Action taken w.r.t. decision taken in the meeting on 27.08.08 :  As decided, a letter has been issued to M/s Aspen Laboratories Pvt. Ltd. which was found operating in the same premises and generating Bio-Medical waste for applying for CTE & for correction of the deficiencies observed during the inspection on 20.08.08.Reply recieved stating that they have been granted CTE & CTR. Reply received dt.01.12.08 stating that correcction of deficences have been done .Reply dated 13.01.09 received submitting correection of deficiencies observed during inspection,
	Issue reminder letter.
	Letter issued
	Deficiencies  noted by inspection team has not yet been corrected. Ask the unit to correct the deficiencies. Dr. Joshi's Team  to inspect and report.
	Letter Issued
	Call on 29.01.2009
	____
	Issue final reminder for correction of deficiencies. Call on 02.03.2009

	135
	M/s Polychem formulation 6/1 WHS kirti Nagar  New delhi-15
	 
	 
	Not Applied
	 
	Letter returned back with the remarks of postman that unit has left the address
	 
	 
	Issue reminder for Authorization . Dr. Chetna to speak and expedite.
	Reminder Issued
	Dr. Chetna to speak. Call on 29.01.2009.
	Contact No. not Available.
	Dr. Joshi's  team to inspect and report.

	136
	M/s Vital Drugs pvt. Ltd.,B-56 Khasra no. 665, nawda Uttam Nagar New delhi-59
	 
	 
	Not Applied
	 
	Letter return back with the remarks of postman that the unit has left the adderess.
	 
	 
	Issue reminder. Dr. Chetna to speak and expedite
	Reminder Issued
	Dr. Chetna to speak. Call on 29.01.2009.
	Communication could not be done through available contact number
	Dr. Joshi's  team to inspect and report.

	137
	Kapoor Medical gases , plot no. 281,Mundaka village Rohatak road, Delhi-41
	 
	 
	Not Applied
	 
	1. Name of this unit was obtained from drug control deptt  2.Reply has been received stating that they are not engaged any manufacturing activity, they are doing bottling of medical gas cylinder and hence no waste is generated of any kind.
	 
	 
	Dr. Joshi 's  Team  to inspect and report
	To be Inspected
	Dr. Chetna to speak. Call on 29.01.2009.
	Contact No. not Available.
	Dr. Joshi's  team to inspect and report.

	138
	Nichiplast india private ltd.,A-68/3 GT karnal road Indl area Delhi-33
	 
	 
	Not Applied
	 
	Reply received informing that they are licenced to manufacture adhesive plasters strips under drugs and cosmatic act, and during its production and testing no BMW generated.and hence BMW ruls are not applicable 
	 
	 
	Dr. Joshi 's  Team  to inspect and report
	To be Inspected
	Dr. Chetna to speak. Call on 29.01.2009.
	Dr. Chetna spoken
	Dr. Joshi's  team to inspect and report.

	139
	Sharp menthol india ltd. C-15 SMA Cooperative Indl Estate Delhi-33
	 
	 
	Not Applied
	 
	1.Reply received stating that they are manufacturing 100% natural menthol and not generating any BMW , hence BMW rules are not applicable .
	 
	 
	Dr. Joshi 's  Team  to inspect and report
	To be Inspected
	Dr. Chetna to speak. Call on 29.01.2009.
	Communication could not be done through available contact number
	Dr. Joshi's  team to inspect and report.

	140
	I.J.Pharmaceutical pvt ltd., I-2091 ,narela indl complex Delhi-40
	 
	 
	Not Applied
	 
	Reply received informing that it is a very small unit manufacturing a few medicines  of ORAL  liquid preparation  and hence no BMW generated in the factory
	 
	 
	Dr. Joshi 's  Team  to inspect and report
	To be Inspected
	Dr. Chetna to speak. Call on 29.01.2009.
	Communication could not be done through available contact number
	Dr. Joshi's  team to inspect and report.

	141
	TOSC international pvt ltd. (Pharmaceutical division) , H-1429, 1441, DSIDC Indl area narela Dlehi-40
	 
	 
	Applied on 12.12.08
	 
	Reply received informing that it is a very small unit manufacturing a few medicines  of ORAL  liquid preparation  and hence no BMW generated in the factory. Applied for Authorization under BMW Rules on 12.12.08 
	 
	 
	Dr. Joshi 's  Team  to inspect and report
	To be Inspected
	Call on 29.01.2009
	____
	Dr. Joshi's  team to inspect and report.

	142
	Sharp menthol india ltd. C-3 SMA Cooperative Indl Estate Delhi-33
	 
	 
	Not Applied
	 
	1.Reply received stating that they are manufacturing 100% natural menthol and not generating any BMW , hence BMW rules are not applicable .
	 
	 
	Dr. Joshi 's  Team  to inspect and report
	To be Inspected
	Dr. Chetna to speak. Call on 29.01.2009.
	Communication could not be done through available contact number
	Dr. Joshi's  team to inspect and report.

	143
	Rtalson remedies Pvt ltd, J-38 udyog nagar rohtak road delhi-41
	 
	 
	Not Applied
	 
	Reply received stating that they are not using any hazardous chemicals they use only natural herbs , alcohols and hence no BMW is generated and asking for guidance regarding BMW
	 
	 
	Dr. Joshi 's  Team  to inspect and report
	To be Inspected
	Dr. Chetna to speak. Call on 29.01.2009.
	Contact No. not Available.
	Dr. Joshi's  team to inspect and report.

	144
	Lord's Homeopathic Lab Pvt. Ltd C-106/ 5 , Naraina Indl. Area ND-28
	 
	 
	Not Applied
	 
	Reply received stating that they are not using medicinal plant , they are having certific ate licencing authority  drug department 
	 
	 
	Dr. Joshi 's  Team  to inspect and report
	To be Inspected
	Dr. Chetna to speak. Call on 29.01.2009.
	Communication could not be done through available contact number
	Dr. Joshi's  team to inspect and report.

	145
	Mayur Air Products (P) Ltd., B-49, Okhla Ind. Area, Ph-1, ND-20
	 
	 
	Not Applied
	Applied for consent (Green-renewal) on 28.11.07
	Reply received stating that they are manufacturing only Medical Oxygen/industrial Oxygen & there is no BMW generated in the process as it is done from atmospheric air
	 
	 
	Dr. Joshi 's  Team  to inspect and report
	To be Inspected
	Dr. Chetna to speak. Call on 29.01.2009.
	Dr. Chetna spoken
	Dr. Joshi's  team to inspect and report.

	146
	Ranbaxy Laboratories ltd (EVT) E-47/9 okhla Indl. Area Phase-II New Delhi-20
	 
	 
	Not Applied
	 
	1.Reply recieved dated 03.02.08 stating that they will apply for authorization within time limit                                                                  2. reply received dated 02.06.08 stating that they are not generating any any BMw and hence not required to aplly for authorization under BMW rules
	 
	 
	Dr. Joshi 's  Team  to inspect and report
	To be Inspected
	Dr. Chetna to speak. Call on 29.01.2009.
	Communication could not be done through available contact number
	Dr. Joshi's  team to inspect and report.

	147
	Vaibhav Oxygen, A-38 B-I Extn, mohan co-operative Indl. Estate Badarpur New Delhi-44 
	 
	 
	Not Applied
	 
	Reply received stating that it is a oxygen gas fililing unit and does not produces any waste except oxygen
	 
	 
	Dr. Joshi 's  Team  to inspect and report
	To be Inspected
	Dr. Chetna to speak. Call on 29.01.2009.
	Communication could not be done through available contact number
	Dr. Joshi's  team to inspect and report.

	148
	Bindlysh Biotec ltd., A-45 Jhilmil Indl Area Delhi -95 
	 
	 
	Not Applied
	 
	Reply received stating that we are not producing or testing any biological and as such we do not require any bio medical waste       it is a oxygen gas fililing unit and does not require any waste treatment facility and BMW rule s are not applicable. Reply received dated 22.01.09 giving referance of earlier reply.
	 
	 
	Dr. Joshi 's  Team  to inspect and report
	To be Inspected
	Dr. Chetna to speak. Call on 29.01.2009.
	Dr. Chetna spoken
	Dr. Joshi's  team to inspect and report.

	149
	Bio nova Pharmaceuticals Pvt. C-66/1 Okhla Indl. Area Phase-I ND-20
	 
	 
	Not Applied
	 
	1.Reply recieved dated 09.04.08 stating that they will apply for authorization within time limit                                                                  
	 
	 
	Issue reminder for Authorization . Dr. Chetna to speak and expedite.
	Reminder Issued
	Dr. Chetna to speak. Call on 29.01.2009.
	Contact No. not Available.
	Dr. Joshi's  team to inspect and report.

	150
	Agarwal pharmaceutical ,B-2644 DSIDC narela Indl area delhi-40
	 
	 
	Applied on 22.01.09
	 
	Reply  dated 10.03.08 received stating that they will apply for authorix=zation within three months.
	 
	 
	Issue reminder for Authorization . Dr. Chetna to speak and expedite.
	Reminder Issued
	Dr. Chetna to speak. Call on 29.01.2009.
	Contact No. not Available.
	Dr. Joshi's  team to inspect and report.

	151
	Unipex  pharmaceutical pvt ltd. D-165 DSIDC na\rela Indl Area delhi-40
	 
	 
	Not Applied
	 
	Not applied for Authorization under BMW Rules.
	 
	 
	Issue reminder for Authorization . Dr. Chetna to speak and expedite.
	Reminder Issued
	Dr. Chetna to speak. Call on 29.01.2009.
	Contact No. not Available.
	Dr. Joshi's  team to inspect and report.

	152
	Super max drugs and Pharmaceutical  Pvt ltd., , H-1231 DSIDC narela Indl Area delhi -40
	 
	 
	Applied on 10.12.08
	 
	Reply  dated 15.04.08 received stating that they will apply for authorix=zation within three months.
	 
	 
	Issue reminder for Authorization . Dr. Chetna to speak and expedite.
	Reminder Issued
	Dr. Chetna to speak. Call on 29.01.2009.
	Dr. Chetna spoken
	Dr. Joshi's  team to inspect and report.

	153
	Wellbeck Pharmaceutical Pvt ltd. F-24 Phase -I okhla Indl Area ND 20
	 
	 
	Not Applied
	 
	Reply  dated 10.03.08 received stating that they will apply for authorix=zation within three months.
	 
	 
	Issue reminder for Authorization . Dr. Chetna to speak and expedite.
	Reminder Issued
	Dr. Chetna to speak. Call on 29.01.2009.
	Contact No. not Available.
	Dr. Joshi's  team to inspect and report.

	154
	Sunil Blood Bank & transfusion centre 806, Arjun Nagar Kotla mubarakpur Opp. Defence colony Delhi- 
	 
	 
	8.12.04
	 
	1. Applied for Authorization under BMW rules on 08.12.04          2. Previous authorization expire on 27.06.07 not applied for renewal of authorization.Letter return back with the remarks of postman that the unit has left the adderess.
	 
	 
	Issue reminder for Authorization . Dr. Chetna to speak and expedite.
	Reminder Issued
	Call on 29.01.2009
	____
	Dr. Joshi's  team to inspect and report.

	155
	Blood bank organization, 36 Vijay block Laxmi nagar delhi-92
	 
	 
	Not Applied
	 
	1. Reply has been received along with an affidavit informing that they cater less than 1000 patients per month,a copy of agreement with SWM. 
	 
	 
	Issue clear notice the blood bank has to apply for cte and authoirzaiton under BMW Rules as per BMW Rules. 
	Notice Issued
	Dr. Chetna to speak. Call on 29.01.2009.
	Contact No. not Available.
	Dr. Joshi's  team to inspect and report.

	156
	Blood bank organization, shanti chamber (Opp. Telephone exchange), 11 /6 B, pusa road , New Delhi-05
	 
	 
	Not Applied
	 
	1. Reply has been received along with an affidavit afforming that they cater less than 1000 patients per month,a copy of agreement with SWM
	 
	 
	Issue clear notice the blood bank has to apply for cte and authoirzaiton under BMW Rules as per BMW Rules.. 
	Notice Issued
	Dr. Chetna to speak. Call on 29.01.2009.
	Dr. Chetna spoken
	Dr. Joshi's  team to inspect and report.

	157
	Dr. Lal Path lab,E- Block, Sector-18, Rohini, Delhi-110085.
	nil
	 
	________
	CTE not applied
	As decided in the last meeting on 30.10.08, Trainee BMW inspected the unit on 21.11.08 and following are the main observations:- 1.  It is a Building under construction for Dr. Lal Path Lab and as informed the construction started in 2008 for the Pathological Laboratory at the site and sufficient work of construction has already been done. It was informed that the building will be completed in about 1 year time.   2. CTE not applied. 3. The Lab has the plot barea of 3800 sq. mt. and    proposed build-up area of 3800 sq. mt. 4. As informed by the representative of the unit present at the site, ETP is proposed. 5. Rain Water Harvesting System proposed. 6. Solar Water Heating System proposed. 7. CFLs will be used.                                                                                
	 
	 
	Issue letter. Dr. Chetna to speak and expedite
	Letter Issued
	Call on 29.01.2009
	____
	Dr. Joshi's  team to inspect and report.

	158
	Jain  Health Care ,19/1  & 19 /2, Nangia Park,Shakti Nagar, Delhi -07.
	_
	N-
	_
	_
	 Earlier the Trainee Engineer had inspected the site and found that the construction was going on for the Guest House. 
	 
	 
	 
	_
	Dr. T.K.Joshi's Committee to inspect and report. Call on 29.01.2009.
	To be Inspected
	Dr. Joshi's  team to inspect and report.

	159
	Indian  Hospital  ,AG - 35 , Shalimar  Bagh , New Delhi - 88.
	100
	NW
	Not Applied
	Not Applied
	 
	 
	 
	 
	_
	The case of the hospital be shifted from BMW Committee No 2 to BMW Committee No 1, in view of its own advertisement that it has more than 100 beds. Ask the unit to apply for Consent to Establish. Call on 29.01.2009. 
	Letter issued .
	Dr. Joshi's  team to inspect and report.


