Minutes of the 166th meeting of the Committee Constituted for Deciding the Consent under Orange Category, held on 02.09.2011 in the Conference Room of Chairman, DPCC.

   The following persons attended the meeting:

Sh. Keshav Chandra, Chairman, DPCC

Dr. A.K.Ambasht, Member Secretary, DPCC

Prof. S. K. Gupta, IIT-Delhi 

Sh. M. Dwarakanth, SSO, Dept. of Env., GNCTD. 

Sh. B. Kumar, Addl. Director, DPCC. 
SEEs of CMC –  I, II, III & IV.


EEs of CMC – I, II, III & IV.


Following are the minutes of the meeting:- 

Agenda Item No. 1-  Fresh Consent to Operate cases under Orange category  w.e.f. 01.03.2011 excluding the cases of  redevelopment areas, considered by Scrutinizing Committee on 25.05.2011/26.05.2011(54 cases). 

Decisions recommended with respect to this agenda are tabulated and annexed as Annexure – 1. 

Agenda Item No. 2- Cases processed administratively for putting up in CMC, considered by Scrutinizing Committee on 25.05.2011/26.05.2011 (09 cases).

Decisions recommended with respect to this agenda are tabulated and annexed as Annexure – 2. 

Agenda Item No. 3- Fresh Consent to Operate cases under Orange category  w.e.f. 01.04.2011 excluding the cases of  redevelopment areas, considered by Scrutinizing Committee on 31.05.2011(73 cases). 

This agenda could not be taken up by the Committee, due to paucity of time, and it was decided to take up the same in the next meeting.

Agenda Item No. 4- Special reference cases, considered by Scrutinizing Committee on 31.05.2011(05 cases). 
Decisions recommended with respect to this agenda are tabulated and annexed as Annexure – 3. 

Agenda Item No. 5- Inspection cases in compliance of earlier CMC's decisions, considered by Scrutinizing Committee on 31.05.2011(07 cases).

Decisions recommended with respect to this agenda are tabulated and annexed as Annexure – 4. 

Agenda Item No. 6- Cases processed administratively for putting up in CMC, considered by Scrutinizing Committee on 31.05.2011(13 cases).

Decisions recommended with respect to this agenda are tabulated and annexed as Annexure – 5. 

Agenda Item No. 7-  Consent to Establish cases under Orange category  w.e.f. 01.05.2011 excluding the cases of  redevelopment areas, considered by Scrutinizing Committee on 18.08.2011(65 cases).

This agenda could not be taken up by the Committee, due to paucity of time, and it was decided to take up the same in the next meeting.

Agenda Item No. 8-  Consent to Operate cases under Orange category  w.e.f. 01.05.2011 excluding the cases of  redevelopment areas, considered by Scrutinizing Committee on 18.08.2011(117 cases). 

This agenda could not be taken up by the Committee, due to paucity of time, and it was decided to take up the same in the next meeting.

Agenda Item No. 9- Special reference case, considered by Scrutinizing Committee on 18.08.2011(01 case). 
Decisions recommended with respect to this agenda are tabulated and annexed as Annexure – 6. 

Agenda Item No. 10- Cases processed administratively for putting up in CMC, considered by Scrutinizing Committee on 18.08.2011(39 cases).

This agenda could not be taken up by the Committee, due to paucity of time, and it was decided to take up the same in the next meeting.

Meeting ended with thanks to the chair.
	S. No.
	I.D. No
	appl_dt
	Industry Name
	Industry Address
	Industrial Area
	Category
	Activitiy / Product
	Consent Status
	Earlier Committee Decision
	Remarks / Action Taken / ATR
	Recommendations of Scrutinizing Committee on 25.05.2011 / 26.05.2011
	Decision recommended by CMC(Orange) on 02.09.2011

	1
	36674
	11-03-2011
	PARSVNATH DEVELOPERS LTD.
	SEELAMPUR METRO STATION, SEELAMPUR
	NC-E
	OPERATE
	Commercial Complex
	 
	 
	BUA:  89342 SQ Mts.
Water Consumption : 630 Lts/Day.
GW:Nil.
Waste Water generation : 
(a) Domestic effluent:  nil Lt/Day
(b) Trade effluent: NIL
Date of Commissioning:  20.03.2009
ETP :  Yes
Test Report (Water) within limit : Yes
Test Report (Air) within limit : Yes.
ECS: Yes
SMR: Yes
D.G.SET:  1010 KVA + 750 KVA
NMR submitted :Yes (3.01.2011)
	Ask the unit to submit effluent analysis report from approved laboratory of DPCC. If the effluent test report submitted by the unit is found to be meeting with the prescribed standard, issue consent to operate. 
	Test report submitted on 04.07.2011 as informed by CMC officails. Issue consent to operate. 

	2
	36677
	14-03-2011
	R.C. ENERGY METERING PVT. LTD.
	B-65, GATE NO 1
	NARAINA INDUSTRIAL AREA PH-II
	RENEWAL
	Mfg of electrical items
	Earlier CTO issued valid upto 20.07.2007.
CTE issued valid upto 09.06.2011 vide consent order no. 24179.
Applied for CTO_R on 15.07.2008 vide application no 26456.
Applied for fresh authorisation under HWM rules on 15.07.2010
	 
	Plot area:788 sqm.
Year of commencement: 1986
Trade effluent: 1 KLD, Adequacy report submitted dated 18.04.2008 and effluent analysis report on 16.12.2010
D.G. Set: 2X160 KVA, NMR submitted dated 16.12.2010
GW: Nil
	Ask the unit to submit stack monitoring report for the stack attached with the powder coating booth. Also inspection be conducted. 
	Ask the unit to submit stack monitoring report for the stack attached with the powder coating booth. Also inspection be conducted. 

	3
	36678
	14-03-2011
	YUGANTAR PRAKASHAN (P) LTD.
	WH-23, PHASE-I
	MAYAPURI INDUSTRIAL AREA
	RENEWAL
	Offset printing press
	Earlier CTO issued valid upto 22.03.2011 under Green category.
Applied for authorization under HWM Rules on 14.03.2011.
	 
	BUA : 148 sqm.
Water Consumption : 100  Lt/day
Trade effluent : Nil
D.G. Set : Nil
	Recommended for grant of renewal of consent and authorization under HWM Rules. 
	Issue renewal of consent and authorization under HWM Rules. 

	4
	36679
	14-03-2011
	HARDEV PRINTERS
	A-49/1, PHASE-I
	MAYAPURI INDUSTRIAL AREA
	RENEWAL
	Printing of books through offset process.
	Earlier CTO & CTO_R issued valid upto 13.02.2011.
Applied for renewal of authorization under HWM Rules on 14.03.2011
	 
	Plot Area: 200 sqm
DG set: nil
Year of commencemnt: 1987
Trade eff: nil.
	Recommended for grant of renewal of consent and authorization under HWM Rules. 
	Issue renewal of consent and authorization under HWM Rules. 

	5
	36680
	14-03-2011
	AMAR NATH & SONS
	T-2/195, PHASE-I
	MANGOL PURI INDUSTRIAL AREA
	RENEWAL
	PVC Footwear.
	CTR (Y) issue on 10.08.2004 and valid upto 30.09.2007 Vide C.No.11169.
	 
	1.Date of Commencement: 1996
2.Trade effluent: NIL 
3. G.W: 100 lt/d
4. D.G.Set: 62 KVA
	Recommended for grant of renewal of consent. 
	Issue renewal of consent. 

	6
	36681
	14-03-2011
	RAJ KAMAL PAINTS & CHEMICALS WORKS
	T-2/185, PHASE-I
	MANGOL PURI INDUSTRIAL AREA
	RENEWAL
	PVC Footwear.
	CTER (Y) issued on 10.08.2004 and valid upto 30.09.2007 Vide C.No.11172.
	 
	1.Date of Commencement: 1997
2.Trade effluent: NIL 
3. G.W:  300 lt/d
4. D.G.Set:NIL  
	Recommended for grant of renewal of consent. 
	Issue renewal of consent. 

	7
	36682
	14-03-2011
	THE RETREAT MOTEL & RESORT (RUN BY JINGLE BELL AMUSEMENT PARK PVT. LTD)
	ALIPUR BYPASS PALLA MOD, MAIN GTK ROAD, ALIPUR
	NC-NW
	OPERATE
	Motel & resort Activity.
	CTR (R ) refusal No. 2074.
CTE (P) applied on 11.02.2011 Vide Id.No. 36469.
	31.03.2011
Ask the unit to provide the waste water treatment plant for the entire waste water generated with proper assessment of the water consumed and waste water generated within 30 days and submit a fresh adequacy report, failing which closure directions be confirmed. Issue reminder to DTU. 
	1.Date of Commencement: 2003
2.Trade effluent: 2.35 Kilo lt/d, 
3. G.W: NIL 
4. D.G.Set: 180 & 80 KVA
	Put up in next CMC.
	Closure directions be revoked permanently. Issue consent to operate.  Also ask the unit to submit valid MCD and Delhi Police license. 

	8
	36685
	14-03-2011
	R.G. INDUSTRIES
	G-945, DSIDC
	NARELA INDUSTRIAL AREA
	OPERATE
	Dall Mill
	CTE (Y) issued on 15.04.2010 and valid upto 14.04.2011 Vide C.No.23299.
	 
	1.Date of Commencement: Dec, 2004
2.Trade effluent:  NIL 
3. G.W:  NIL
4. D.G.Set: NIL
	Ask the unit to submit the proof of CETP membership. If unit submits the aforesaid document, consent to operate be issued. 
	Ask the unit to submit the proof of CETP membership. If unit submits the aforesaid document, consent to operate be issued. 

	9
	36686
	14-03-2011
	CAR CARE CENTRE
	LODHI ROAD, NEAR ISPAT BHAWAN
	NC-ND
	RENEWAL
	Petrol Pum cum Service Station
	CTO(R) on 29.05.2009 valid upto 31.12.2010
Authorization obatined on 27.07.2009 for a period of five years.
	 
	Water consumption : 2400 Lt/day
Domestic effluent :320 Lt/day
Trade effluent: 2000 Ltd/day
Certificate of registration from CGWA obtained. 
Year of commencement of Production : 1991
AR and effluent analysis report submitted.
Noise monitoring report of D.G. Set of 75 KVA.
	Recommended for grant of renewal of consent. 
	Issue renewal of consent. 

	10
	36687
	15-03-2011
	AUTO VIKAS SALES & SERVICES PVT. LTD.
	G-14
	UDYOG NAGAR INDUSTRIAL AREA
	OPERATE
	Servicing, Repair and washing of vehicles.
	CTE issued valid upto 10.01.2012 vide consent order no 26360.
Applied for fresh authorization under HWM Rules on 15.03.2011 vide application no 0689.
	Decision on 25.11.2010
Issue consent to establish. Subsquently, inspection be conducted.
	Inspection conducted on 18.05.2011. During the inspection following were observed:
1.) ETP installed and in operational. Dry sludge seen at site. No wet sludge found at site. Dried sludge also stored in the drums. Dry sludge below settling tank. No chemical dosing tanks installed.
2.) Waste oil found stored in the drums in open area.

Plot area: 1200 sqm.
Trade effluent: 300 KLD. Adequacy report submitted and effluent analysis report is with in the limits.
D.G.Set: 125 KVA, NMR submitted dated 14.12.2010.
Year of commencement: 2010
GW: 1500 LPD.
	Issue SCN for refusal of consent and SCN u/s 33(A) of the Air Act, u/s 31(A) of the Air Act and u/s 5 of the EPA. Inform to DJB regarding ground water extraction. 
	Issue SCN for refusal of consent and SCN u/s 33(A) of the Air Act, u/s 31(A) of the Air Act and u/s 5 of the EPA. Inform to DJB regarding ground water extraction. 

	11
	36695
	15-03-2011
	BAT BRO ENGG. & GENERAL MANUFACTURERS (UNIT-II)
	SHED NO-7
	BADLI INDUSTRIAL ESTATE
	OPERATE
	Mfg. of Plastic Moulded Auto parts.
	CTR (Y) issued on 17.05.2006 and valid upto 11.04.2008 Vide C.No.14624.
CTR (P) applied on on 11.04.2008 Vide Id.No.25479.
CTE (Y) issued on 16.03.2010 and valid upto 15.03.2011 Vide C.No.23211.
CTR (P) applied on 08.04.2011 Vide ID.No.36846.
	 
	1.Date of Commencement: March, 2010
2.Trade effluent:  NIL
3. G.W: NIL
4. D.G.Set: NIL
	Recommended for grant of consent to operate. 
	Issue consent to operate. 

	12
	36697
	15-03-2011
	NEW WEMBLY PRODUCTS
	53 PVT A-4, RAMA ROAD
	MOTI NAGAR INDUSTRIAL AREA
	OPERATE
	Packing of thiner and retrader (use in paints for dilution)
	CTE issued valid upto 05.04.2006 for the activity of Mfg. of ink (non flexographic) at the address of 53, rama road, najafgarh road industrial area.
Applied for CTO on 01.12.2008 vide iD no 20041 for the activity of Mfg. of ink (non flexographic) at the address of 4A/53, rama road, najafgarh road industrial area.
CTE issued valid upto 06.12.2011 for the activity of Packing of thiner and retrader (use in paints for dilution) at the address of 53, Pvt No A-4, Rama Road, Moti Nagar Industrial Area
	Decision on 12.02.2010/15.02.2010
Inspection be conducted.
Decision on 09.11.2010
Issue consent to establish with the condition to obtain the permission from the Fire Deptt.and not to use any nitrocellulose and alkyl resin based raw material.
	Inspection conducted on 11.05.2010

Plot area: 250 sqm.
Year of commencement: Feb 2011
Trade effluent: Nil
D.G. Set: nil 
GW: Nil
	Recommended for grant of consent to operate without use of nitro cellulose and alkyed resin based raw material and with the condition that permission from the fire department will be obtained. 
	Issue consent to operate without use of nitro cellulose and alkyed resin based raw material and with the condition that permission from the fire department will be obtained. 

	13
	36703
	15-03-2011
	PUNJAB STEEL WORKS
	B-38, PHASE-I
	MAYAPURI INDUSTRIAL AREA
	 
	FORGING OF COMPONENTS
	CTE issued valid upto 10.02.2012
	Decision dated 31.03.2011
Issue consent to establish without using Pneumatic Hammer, coal fired boiler and with steam hammer of less than 4 tonnes capacity, with the condition that unit will use only the oil / gas fired boiler strictly in accordance with the notification dated 27.08.1996 for the approved fuel. 
	Unit inspected on 09.09.2010 and as decided in CMC on 30.09.2010, Closure directions u/s 31 (A) of the Air Act in view of the fact that one coal fired boiler was found installed in operational and Carbon Black Feed Stock (CBFS) is being used in furnace which is not an approved fuel, issued on 04.10.2010. Unit had submitted a representation on 12.11.2010 along with copy of sealing order, wherein unit has requested to revoke the direction to complete the work of installation of Gas connection and gas fired boiler. the unit also ready to submit tha any Bank Guarantee. 
Unit submitted the Bank Guarantee of RS. 1 lakh on 19.11.2010,
 the temporary revocation of closure direction issued to the unit on 
22.11.2010 Unit submitted the representation along with an affidavit 
on 08.12.2010 and stating that they have convert their coal fired boiler into 
oil fired boiler and requesting for permanant revocation of the closure direction. 
Unit applied for CTE on 04.01.2011 vide application no 36139 for the activity of 
Forging of components. Earlier CMC Decision: Decision on 09.11.2010 
Ask the unit to confirm the installation of gas/ LDO fired boiler in its premises 
and to confirm that the coal fired boiler has been removed on an affidavit. Decision 
on 13.01.2011 Decision taken on file for temporary revocation of the closure already issued with 
the approval of Chairman, DPCC ratified. Issue revocation of closure directions u/s 31(A) of the 
Air Act without waiting for the minutes in view of the compliance 
submitted Decision on 21.01.2011 Decision taken on file for temporary 
revocation of the closure already issued with the approval of Chairman, 
DPCC ratified. Issue revocation of closure directions u/s 31(A) of the Air Act
 without waiting for the minutes in view of the compliance submitted
	Ask the unit to submit the stack monitoring report of the boiler, ambient noise monitoring report from approved laboratory of DPCC notifying that CBFS is not to be used as a fuel in view of the reply received from Indian Oil Corporation. 
	Ask the unit to submit the stack monitoring report of the boiler, ambient noise monitoring report from approved laboratory of DPCC notifying that CBFS is not to be used as a fuel in view of the reply received from Indian Oil Corporation. Also ask the unit to remove the defunct two number of furances from the premises and submit an affidavit in this regard. 

	14
	36704
	16-03-2011
	JAYANT CABLE INDUSTRIES
	1/536-A-3, GALI NO-4
	FRIENDS COLONY INDUSTRIAL AREA
	OPERATE
	Manufacturing of PVC Wire and cables.
	CTE applied on 30.06.2009.
	 
	BUA:  93.27 SQ Mts.
Water Consumption : 150 Lts/Day.
GW: Yes
Waste Water generation : 
(a) Domestic effluent:  75 Lt/Day
(b) Trade effluent: NIL
Date of Commissioning: July 2009
D.G.SET:  nil
NMR submitted :N/A
reg. Letter submitted.
SCN u/s 31(A) of the Air issued for D.G. Set of 125 KVA without acoustic enclosure and channelization. 
Reply along with affidavit submitted stating that D.G.Set has been removed.
	Inspection be conducted.
	File be put up administratively. 

	15
	36713
	16-03-2011
	SRI BALAJI ROLLING WORKS
	A-93/14
	WAZIRPUR INDUSTRIAL AREA
	OPERATE
	Cold re-rolling of S.S.. Sheet.
	CTO (P) applied on 08.11.2006 Vide Id.No.19726.
	 
	1.Date of Commencement: April, 2006
2.Trade effluent:  NIL
3. G.W: NIL 
4. D.G.Set: NIL 
	Ask the unit to apply for consent to establish.
	Ask the unit to apply for consent to establish.

	16
	36714
	16-03-2011
	TILAK TEXTILES
	S-11, PHASE-I
	BADLI INDUSTRIAL ESTATE
	RENEWAL
	Cold re-rolling of S.S.. Sheet.
	CTR (Y) issued on 20.04.2006 and valid upto 23.01.2008 Vide C.No.14219.
CTR (P) applied on 10.03.2008 Vide Id.No.25132.
	 
	1.Date of Commencement: April, 2002
2.Trade effluent: NIL 
3. G.W: NIL 
4. D.G.Set: NIL 
	Recommended for grant of renewal of consent. 
	Issue renewal of consent. 

	17
	36720
	18-03-2011
	UNIQUE ENTERPRISES
	A-34, SECTOR-2, DSIDC
	BAWANA INDUSTRIAL AREA
	OPERATE
	Mfg. of plastic goods by injection moulding Machine.
	 
	 
	BUA: 150  Sq m
Wate consumption:300 lpd
Domestic discharge: 200 lpd
Trade discharge:Nil
Date of commisioning:  Jan 2011
DG Set:  Nil
	Recommended for grant of consent to operate without using plastic waste.
	Issue consent to operate without using plastic waste.

	18
	36721
	18-03-2011
	HIMGIRI ENTERPRISES PVT. LTD.
	B-22, PHASE-II
	MANGOL PURI INDUSTRIAL AREA
	RENEWAL
	Mfg. of Electrical appliances/ Goods.
	CTO (Y) issued on 24.08.2004 and valid upto 01.08.2007 Vide C.No.11340.
CTR (P) applied on 21.09.2007 Vide Id.No.23594.
	 
	1.Date of Commencement: 2001
2.Trade effluent:  200 lt/d
3. G.W: NIL
4. D.G.Set: NIL
	Issue  renewal of consent with the condition to provide hood & suction arrangement followed by a duct raised well above the roof levels (at least 2.0 meter above roof level) to channelize the process emissions and submit an compliance report on an affidavit within 06 months. 
	Issue  renewal of consent with the condition to provide hood & suction arrangement followed by a duct raised well above the roof levels (at least 2.0 meter above roof level) to channelize the process emissions and submit an compliance report on an affidavit within 06 months. 

	19
	36725
	21-03-2011
	EVERGREEN SWEET HOUSE
	S-29/30, GREEN PARK
	NC-S
	RENEWAL
	Restaurant/ eating house
	Pending
	          16.04.10 (IN CTE file)
Ask the unit to submit valid MCD and Delhi Police licences.
	CTE :  applied on 09.06.08.
Water Consumption :  4.0 Kld
Waste Water generation :  
(a) Domestic effluent:  1.0 Kld
(b) Trade effluent:  2.4 Kld
Date of Commissioning:  1963
ETP / STP:  ETP
Test Report (Water) within limit: yes
Test Report (Air) within limit:  yes
NMR submitted: submitted dated 24.12.10
G W: Nil
D G set: 250 KVA & 180 KVA
Adequacy report submitted dated December 2007 & test report submiteed dated 30.12.10
SMR submitted dated 30.12.10.

CTR applied on 23.12.04 vd ID  12326.
CTR applied on 20.12.07 vd ID  24551.
CTE applied on 09.06.08 vd ID  26016

Letter issued on 21.05.10
Unit submitted its reply on 04.06.10 along with MCD & police licenes.
	Recommended for grant of renewal of consent. 
	Issue renewal of consent and consent to establish. 

	20
	36728
	22-03-2011
	SRV PRINT PACK PVT. LTD.
	PLOT NO 387-388, FIE
	PATPARGANJ INDUSTRIAL AREA
	OPERATE
	Flexible Printed and Laminated Film.
	CTE: Yes
	 
	BUA: 700  SQ Mts.
Water Consumption : 200 Lts/Day.
GW:Nil.
Waste Water generation : 
(a) Domestic effluent:  100 Lt/Day
(b) Trade effluent: NIL
Date of Commissioning:  1997
SMR: Yes(22.03.2011)
D.G.SET:  140 +82 KVA. 
NMR submitted :Yes (16.03.2011)
	Recommended for grant of consent to operate and authorization under HWM Rules. 
	Issue consent to operate and authorization under HWM Rules. 

	21
	36729
	22-03-2011
	S.K. JAIN (EARLIER KNOWN AS VARDHMAN ENTERPRISES)
	PLOT NO 1/422, GALI NO 6
	FRIENDS COLONY INDUSTRIAL AREA
	RENEWAL
	Manufacturing of PVC compound.
	CTE: No.
	 
	BUA:  100 SQ Mts.
Water Consumption : 200 Lts/Day. 
GW:Nil.
Waste Water generation : 
(a) Domestic effluent:  50 Lt/Day
(b) Trade effluent: NIL
Date of Commissioning: April 2000
D.G.SET:  NIL
NMR submitted :N/A
	Recommended for grant of renewal of consent. 
	Issue renewal of consent. 

	22
	36731
	22-03-2011
	AJAY PLASTIC FACTORY
	PLOT NO 84, PHASE-II
	BADLI INDUSTRIAL ESTATE
	RENEWAL
	Mfg. of injection moulded items (washing brush, comb etc).
	CTE Not Applied.
	 
	1.Date of Commencement: 1999
2.Trade effluent: NIL
3. G.W:  NIL
4. D.G.Set: NIL
	Recommended for grant of renewal of consent. 
	Issue renewal of consent. 

	23
	36732
	22-03-2011
	UNISON HOTELS LIMITED
	PLOT NO 2, PHASE-II, NELSON MANDELA ROAD, VASANT KUNJ
	NC-SW
	RENEWAL
	Expansion of Hotel
	CTO_R issued valid upto 31.08.2007.
Applied for CTE on 19.02.2009 vide application no 29070.
	Decision on 04.03.2009
Since the built up area is more than 20000 sq. meter, ask the unit to file environmental clearance. Call on 09.04.2009
Decision on 09.04.2009
Call on 19.05.2009
Decision on 15.06.2009
Call on 12.08.2009
Decision on 05.08.2010
Ask the unit to file environmental clearance and issue reminder for compliance of earlier letter.
	Plot Area: 40,000 sqm
DG set: 3X1250 KVA, NMR submitted dated 18.01.2011.
Year of commencemnt: 2000
Trade eff: 480 KLD, adequacy report submitted on march 2011.
Boiler installed and SMR submitted dated 24.01.2011
GW: 545 KLD (bore well+tankers) 
	Ask the unit to submit environmental clearance. Inform to DJB regarding ground water extraction. 
	Ask the unit to submit fresh stack monitoring report of D.G. Set(s) with complete parameters as per gazette notificaion dated 09.07.2002 from approved laboratory of DPCC. Inform to DJB regarding ground water extraction. 

	24
	36738
	23-03-2011
	SUDHA INDUSTRIES
	PLOT NO 1/429/3, GALI NO 1
	FRIENDS COLONY INDUSTRIAL AREA
	OPERATE
	Mfg. of wires &cables, aluminium and copper wire drawing.
	CTE granted valid upto 06.10.2010.
	 
	BUA:  89 SQ Mts.
Water Consumption :170 Lts/Day.
GW:Nil.
Waste Water generation : 
(a) Domestic effluent:  150 Lt/Day
(b) Trade effluent: NIL
Date of Commissioning: JAN 2008
D.G.SET:  NIL
NMR submitted :N/A
Authorization form under HWM rules and proof of CETP membership submitted.
	Recommended for grant of consent to operate and authorization under HWM Rules. 
	Issue consent to operate and authorization under HWM Rules. 

	25
	36739
	23-03-2011
	SUDHA WIRES & CABLES (INDIA)
	PLOT NO 1/429/3, GALI NO 1, FF
	FRIENDS COLONY INDUSTRIAL AREA
	OPERATE
	Mfg. of wires & cables, and electrical acessories.
	CTE granted valid upto 25.10.2010.
	 
	BUA:  60 SQ Mts.
Water Consumption : 170 Lts/Day. 
GW:Nil.
Waste Water generation : 
(a) Domestic effluent:  100 Lt/Day
(b) Trade effluent: NIL
Date of Commissioning: Oct 2008.
D.G.SET:  Nil
NMR submitted :N/A
	Recommended for grant of consent to operate. 
	Issue consent to operate. 

	26
	36740
	23-03-2011
	PARKASH ENTERPRISES
	SHED NO 20, DSIDC
	JHILMIL INDUSTRIAL AREA
	OPERATE
	Mfg. of sanitary goods with buffing & electroplating.
	CTE: granted valid upto 04.05.2012..
	 
	BUA:  111 SQ mts.
Water Consumption : 450 Lts/Day.
GW:Nil.
Waste Water generation : 
(a) Domestic effluent:  100 Lt/Day
(b) Trade effluent:300 Lt/Day
Date of Commissioning: Aug 2010.
D.G.SET:  125 KVA. 
NMR submitted : Yes,19.01.2011.
Adeqacy Report:
ETP:Yes, Feb 2011.
ECS:Yes:Feb 2011.
SMR: Yes.
HWM: Yes.
 
	Recommended for grant of consent to operate and authorization under HWM Rules. 
	Issue consent to operate and authorization under HWM Rules. 

	27
	36742
	23-03-2011
	GLOW PACKAGING PVT. LTD.
	68, FIE
	PATPARGANJ INDUSTRIAL AREA
	RENEWAL
	Mfg. of plastic drums, bottles and canes etc.
	CTE: No.
	 
	BUA:  450 SQ mts.
Water Consumption : 250 Lts/Day.
GW:Nil.
Waste Water generation : 
(a) Domestic effluent:  200 Lt/Day
(b) Trade effluent: NIL
Date of Commissioning: june 2001 
D.G.SET:  125 KVA. 
NMR submitted : Yes (23.03.2011)
	Recommended for grant of renewal of consent. 
	Issue renewal of consent. 

	28
	36743
	23-03-2011
	AMITA OFFSET WORKS
	G-940, DSIDC
	NARELA INDUSTRIAL AREA
	RENEWAL
	Printing Press with Plate making Washing & Binding.
	CTO (Y) issued on 30.11.2004 and valid upto 01.11.2007 Vide C.No.12217.
CTE (P) applied on 24.03.2008 Vide Id.No.25287.
	 
	1.Date of Commencement: June, 2000
2.Trade effluent: 200 lt/d 
3. G.W: NIL 
4. D.G.Set: 125 KVA
	Ask the unit to submit the proof of CETP membership. If unit submits the aforesaid document, renewal of consent and authorization under HWM Rules be issued. 
	Ask the unit to submit the proof of CETP membership. If unit submits the aforesaid document, renewal of consent and authorization under HWM Rules be issued. 

	29
	36745
	23-03-2011
	JAGDAMBA PLASTICS
	E-831, DSIDC
	NARELA INDUSTRIAL AREA
	RENEWAL
	Mfg. of Plastic Dana 
	CTE (Y) issued on 01.01.2003 and valid upto 27.12.2003 Vide C.No.2722.
CTO (Y) issued on 12.05.2004 and valid upto 15.04.2007 Vide C.No.10400.
CTR (P) applied on 10.05.2007 Vide Id.No.21280.
	 
	1.Date of Commencement: Nov, 2001
2.Trade effluent: NIL
3. G.W: NIL
4. D.G.Set: NIL
	Ask the unit to submit stack monitoring report for complete parameters from approved laboratory of DPCC. 
	Ask the unit to submit stack monitoring report for complete parameters from approved laboratory of DPCC. 

	30
	36746
	23-03-2011
	D.K. INDUSTRIES
	A-13, GROUP
	WAZIRPUR INDUSTRIAL AREA
	OPERATE
	Mfg. of Stainless steel Trays.
	CTE (Y) issued on 18.06.2010 and valid upto 17.06.2011 Vide C.No.24456.
	 
	1.Date of Commencement: 2010
2.Trade effluent:  NIL
3. G.W:  NIL
4. D.G.Set: NIL
	Recommended for grant of consent to operate as the closure directions have been revoked subsequent the submission of bank guarantee. 
	Issue consent to operate as the closure directions have been revoked subsequent the submission of bank guarantee. 

	31
	36747
	23-03-2011
	S.R. FOOD INDUSTRIES
	G-983, DSIDC
	NARELA INDUSTRIAL AREA
	OPERATE
	Dall Mill.
	CTE (Y) issued on 25.01.2010 and valid upto 24.01.2011 Vide C.No.22575.
	 
	1.Date of Commencement: Jan, 2011
2.Trade effluent:  NIL 
3. G.W: NIL
4. D.G.Set: NIL
	Ask the unit to submit the proof of CETP membership. If unit submits the aforesaid document, consent to operate be issued. 
	Ask the unit to submit the proof of CETP membership. If unit submits the aforesaid document, consent to operate be issued. 

	32
	36749
	24-03-2011
	INDITEX INDIA PVT. LTD.
	C-268, PHASE-II
	MAYAPURI INDUSTRIAL AREA
	RENEWAL
	Mfg of electriacl control panel (without phosphating and painting)
	Earlier CTO refused on 19.04.2005.
CTO issued valid upto 28.04.2008.
Applied for CTO_R on 28.03.2008 vide application no. 25345.
CTE issued valid upto 17.06.2011 vide consent order no.24391.
Applied for renewal of authorization under HWM Rules on 16.07.2010.
	Decision on 09.04.09
Ask the unit to apply for CTE and file permission from DJB for ground water extraction. Also ask the unit to file fresh adequecy report of ETP from empanelled consultant of DPCC and noise monitoring report of D.G.Set from approved laboratory of DPCC. Call on 19.05.09.
Decision on 15.06.09
Time allowed for full compliance. Call on 12.08.09
Decision on 12.05.2010
Issue consent to establish. Ask the unit to apply for fresh authorization under HWM Rules.
	Plot Area: 506 sqm
DG set: 62.5 KVA, NMR submitted dated 24.02.2011
Year of commencemnt: Dec, 1988
Trade eff: 900 LPD, adequacy report submitted dated 25.03.2011..
GW: 1 KLD
	Ask the unit to submit stack  monitoring report from approved laboratory of DPCC. Inform to DJB regarding ground water extraction. 
	Ask the unit to submit stack  monitoring report from approved laboratory of DPCC. Inform to DJB regarding ground water extraction. 

	33
	36751
	24-03-2011
	BHASIN MOTORS (I) PVT. LTD.
	56-B, RAMA ROAD
	NAJAFGARH ROAD INDUSTRIAL AREA
	RENEWAL
	Servicing of vehicles
	Earlier CTO issued twice valid upto 22.05.2004 and 14.07.2007.
Applied for CTO_R on 10.12.2007 vide application no 24435.
Applied for renewal of authorization on 01.06.2010. 
	Decision on 02.02.2009
Ask the unit to file CGWA clearance for ground water drawl.
Decision on 15.06.2009
Issue reminder for DJB clearance.
	Plot Area: 7000 sqm
DG set: nil
Year of commencemnt: 2000
Trade eff: 8 KLD, adequacy report submitted.
GW: 8.8 KLD
	Recommended for grant of renewal of consent and authorization under HWM Rules. Inform to DJB regarding ground water extraction. 
	Issue renewal of consent and authorization under HWM Rules. Inform to DJB regarding ground water extraction. 

	34
	36752
	24-03-2011
	ALPHA AUTO INDUSTRIES
	E-844, DSIDC
	NARELA INDUSTRIAL AREA
	OPERATE
	Mfg. Of Auto rubber Parts.
	CTE (Y) issued on 14.06.2006 and valid upto 13.06.2007 Vide C.No.15311.
CTO (P) applied on 13.11.2007 Vide Id.No. 24198.
	 
	1.Date of Commencement: June, 2006 
2.Trade effluent:  NIL 
3. G.W:  NIL 
4. D.G.Set: NIL
	Ask the unit to submit the proof of CETP membership. If unit submits the aforesaid document, consent to operate be issued. 
	Ask the unit to submit the proof of CETP membership and to channelize its fugitive emissions through a stack havign height of atleast 12 meter or 2 meter above roof top of the shed/building whichever is more and confirm the same on an affidavit along with the copy of SSI registration.

	35
	36761
	25-03-2011
	COLOR MASTER PRINT PROCESS PVT. LTD.
	B-221
	NARAINA INDUSTRIAL AREA PH-I
	OPERATE
	Mfg. of Printing Press
	CTE issued valid upto 26.11.2011
Applied for authorization under HWM Rules on 25.03.2011
	 
	Plot Area: 3300 sq feet
DG set: nil
Year of commencemnt: 2006
Trade eff: nil.
	Recommended for grant of consent to operate and authorization under HWM Rules. 
	Issue consent to operate and authorization under HWM Rules. 

	36
	36768
	28-03-2011
	AHUJA ROLLER FLOUR MILL PVT. LTD.
	C-6/9-10-11
	LAWRENCE ROAD INDUSTRIAL AREA
	OPERATE
	Flour Mills.
	CTE (Y) issued on 05.10.2010 and valid upto 04.10.2011 Vide C.No.25668.
	 
	1.Date of Commencement: Aug. 2010
2.Trade effluent: NIL 
3. G.W:  NIL 
4. D.G.Set: NIL 
	Issue SCN u/s 31(A) was issued due to not applying for consent to operate. Unit has applied for consent to operate in pursuance of issuance of SCN u/s 31(A) of the Air Act. Recommended for grant of consent to operate. 
	Issue SCN u/s 31(A) was issued due to not applying for consent to operate. Unit has applied for consent to operate in pursuance of issuance of SCN u/s 31(A) of the Air Act. Issue consent to operate. 

	37
	36769
	28-03-2011
	A.B.C. OFFSET PRINTERS
	B-18
	GTK ROAD INDUSTRIAL AREA
	OPERATE
	Offset Printing 40,000 Impression on Paer & Boards etc.
	CTE (Y) issued on 01.06.2010 and valid upto 31.05.2011 Vide C.No. 23762.
	 
	1.Date of Commencement: sept, 2008 
2.Trade effluent:  NIL 
3. G.W:  NIL 
4. D.G.Set: 62.5 KVA
	Recommended for grant of consent to operate and authorization under HWM Rules. 
	Issue consent to operate and authorization under HWM Rules. 

	38
	36770
	28-03-2011
	TWO BROTHERS HOLDINGS LTD.
	A-6, GROUP
	WAZIRPUR INDUSTRIAL AREA
	OPERATE
	 
	 
	 
	1.Date of Commencement: 
2.Trade effluent:  lt/d, 
3. G.W:  lt/d
4. D.G.Set: 
	File is under submission. 
	Closure directions revoked on 19.07.2011 as informed by CMC officails. Issue consent to operate. 

	39
	36771
	28-03-2011
	PANNA LAL TAVINDER KUMAR
	B-48
	LAWRENCE ROAD INDUSTRIAL AREA
	RENEWAL
	Mfg. of Achar and Murabba.
	CTO (Y) issued on 27.06.2003 and valid upto 11.07.2005 Vide C.No.6106.
CTE (Y) issued on 04.12.2009 and valid upto 03.12.2010 Vide C.No.22206.
CTR (C ) Vide Id.No.15960.
	 
	1.Date of Commencement: 1980
2.Trade effluent:  300 lt/d, 
3. G.W: NIL 
4. D.G.Set: NIL 
Closure directions was issued on 16.03.2011
Unit has submitted bank guarantee of Rs 1 Lakh each under Air Act and Water Act.
Revocation of closure directions issued on 15.04.2011
	Recommended for grant of renewal of consent. 
	Adequacy report of ETP dated 25.03.2011 submitted as informed by CMC officails. Issue renewal of consent. 

	40
	36772
	28-03-2011
	NEETU PLASTIC PVT. LTD.
	A-45, SECTOR-4, DSIDC
	BAWANA INDUSTRIAL AREA
	OPERATE
	Mfg. of PVC Pipes
	 
	 
	BUA:150  Sq m
Wate consumption: 200 lpd
Domestic discharge:150  lpd
Trade discharge:Nil
Date of commisioning:  Sept 2009
DG Set: Nil
	Recommended for grant of consent to operate. 
	CTE obtained on 25.03.2010 as informed by CMC officails. Issue consent to operate. 

	41
	36774
	28-03-2011
	BHAGWATI CONSTRUCTIONS & ENGINEERS PVT. LTD.
	C-18, PHASE-I
	OKHLA INDUSTRIAL AREA
	OPERATE
	Engineering works
	Pending
	            05.10.10( in Green file)
Consent be made infructuous as unit has obtained consent to establish under orange category.
	CTE :  issued on 06.09.10
Water Consumption :  5.0 Kld
Waste Water generation :  
(a) Domestic effluent:  4.5 Kld
(b) Trade effluent:  Nil
Date of Commissioning: Aug 1998.
ETP / STP:  N/a
Test Report (Water) within limit: N/a
Test Report (Air) within limit:  yes
NMR submitted:  submitted dated 25.03.11
G W: Nil
D G set: 50 KVA
Adequacy report of ECS submitted March 2011.
SMR submitted dated 28.01.11
CTR (Green) cancel on 08.12.08 vd  cancellation no. 119.
CTR (Green) cancel on 03.11.10 vd cancellation no. 455.
CTE (Green) cancel on 28.07.10 vd cancellation no. 461.
CTE (Orange) issued on 06.09.10 vd CNO 25413.
Consent  made infructuous on 03.11.10
	Recommended for grant of consent to operate. 
	Issue consent to operate. 

	42
	36776
	28-03-2011
	SIDDHARTHA INDUSTRIES
	PLOT NO 22/3, GALI NO 3
	FRIENDS COLONY INDUSTRIAL AREA
	OPERATE
	Manufacturing of adhesive tapes
	Applied for CTE on 25.02.2009.
	 
	BUA:  165 SQ Yards.
Water Consumption : 50 Lts/Day.
GW:Nil.
Waste Water generation : 
(a) Domestic effluent:  20 Lt/Day
(b) Trade effluent: NIL
Date of Commissioning: Nov. 2009
D.G.SET:  nil
NMR submitted :N/A
	Issue SCN for refusal of consent and SCN u/s 31(A) of the Air Act for concealmen of D.G. Set which was found without acoustic enclosure during inspection. 
	Issue SCN for refusal of consent and SCN u/s 31(A) of the Air Act for concealmen of D.G. Set which was found without acoustic enclosure during inspection. 

	43
	36784
	29-03-2011
	LAKSHMI ICE & COLD STORAGE
	(7650) 7652/1, G.T. KARNAL ROAD
	NC-NW
	RENEWAL
	Mfg. Ice Slabs.
	CTE Not Applied.
	 
	1.Date of Commencement: 1955
2.Trade effluent: NIL 
3. G.W: 
4. D.G.Set: NIL  
	The earlier renewal of consent was issued to the unit at the address - 7650, G.T. Karnal Road. However, now the unit is seeking consent mentioning is as 7650 & 7652/1, G.T. Karnal Road. Ask the unit to confirm whether the unit has been extended in plot no 7652/1 or it was in possession of both the plots since begining. The statement of the unit be supported by the documentary evidence. A fresh affidavit and CA certificate be submitted with the exact address. 
	Ask the unit to confirm whether the unit has been extended in plot no 7652/1 or it was in possession of both the plots since begining. The statement of the unit be supported by the documentary evidence. A fresh affidavit and CA certificate be submitted with the exact address. 

	44
	36788
	29-03-2011
	SMART SOLUTION
	PLOT NO 157, FIE
	PATPARGANJ INDUSTRIAL AREA
	OPERATE
	Mixing & Packing of printing ink.
	CTE: Applied on 29.03.2011
	 
	BUA:  200 SQ mts
Water Consumption 100 :Lts/Day.
GW:Nil.
Waste Water generation : 
(a) Domestic effluent:   50Lt/Day
(b) Trade effluent: nil
Date of Commissioning: 01.03.2011
ETP :  N/A.
D.G.SET:  nil
NMR submitted :N/A
	Recommended for grant of consent to operate and authorization under HWM Rules. 
	Inspection be conducted to check the flexo graphic ink i.e. prohibited activity as per MPD as decided in CTE application.

	45
	36789
	29-03-2011
	ADVANTAGE MEDICAL EQUIPMENTS
	PLOT NO 63, PHASE-II
	BADLI INDUSTRIAL ESTATE
	OPERATE
	Mfg. of Hospital Furniture & Equipments.
	CTE (P) applied on 25.02.2011 Vide Id.No.36563.
	Decision on 31.03.2011
Ask the unit to submit Bank Guarantee of Rs. 50,000 each under Air Act and HWM Rules valid for one year. If unit submits the bank guarantee, consent to establish and authorization under HWM Rules be issued. 
	1.Date of Commencement: 2006
2.Trade effluent:  NIL 
3. G.W:  NIL 
4. D.G.Set: 20 KVA
	Ask the unit to submit proof of the CETP membership in the name and address of the unit. 
	Ask the unit to submit proof of the CETP membership in the name and address of the unit. If unit submits the aforesaid documents, consent to operate be issued. 

	46
	36790
	30-03-2011
	ASHOKA PLASTIC WORKS
	B-94
	GTK ROAD INDUSTRIAL AREA
	RENEWAL
	Mfg. of Plastic Goods Viz., Plastic Dana and Plastic agriculture hose pipe.
	CTE Not Appplied.
CTO (Y) issued on 08.06.2004 and valid upto 17.05.2007 Vide C.No.10677.
CTR (P) applied on 01.05.2007 Vide Id.No.21161.
	 
	1.Date of Commencement: August, 1975
2.Trade effluent: NIL
3. G.W:  NIL
4. D.G.Set: 75 KVA
	Recommended for grant of renewal of consent. 
	Issue renewal of consent. 

	47
	36791
	30-03-2011
	SURAJ KISHAN & BROS
	B-94
	GTK ROAD INDUSTRIAL AREA
	RENEWAL
	Mfg. of plastic dana & plastic tubes with extruder.
	CTE Not Applied.
CTO (Y) issued on 27.08.2004 and valid upto 05.08.2007 Vide C.No. 11411.
	 
	1.Date of Commencement: Jan, 1986
2.Trade effluent:  NIL  
3. G.W: NIL 
4. D.G.Set: NIL 
	Recommended for grant of renewal of consent. 
	Issue renewal of consent. 

	48
	36794
	30-03-2011
	BALAJI PLASTIC
	T-1/94, PHASE-I
	MANGOL PURI INDUSTRIAL AREA
	RENEWAL
	Mfg. od Audio Cassette Cover.
	CTE Not Applied.
CTR (P) applied on 22.06.2007 Vide Id.No.21950.
	 
	1.Date of Commencement: 1998
2.Trade effluent:  NIL 
3. G.W:  160 lt/d
4. D.G.Set: NIL 
	Recommended for grant of renewal of consent. 
	Issue renewal of consent. 

	49
	36797
	30-03-2011
	BLADE INDIA
	C-161, BACKSIDE
	NARAINA INDUSTRIAL AREA PH-I
	RENEWAL
	Heat Treatment 
	CTE issued valid upto 06.06.2011 vide consent order no 24073.
Applied for renewal of authorization under HWM rules on 04.04.2011 vide appliication no. 0716.
	Decision on 07.05.2010 
Issue consent to establish. 
Subsequently, inspection be conducted.
Decision on 09.11.2010
Issue SCN u/s 21/22 of the Air Act and u/s 25/26 of the Water Act for not obtaining consent to operate incorporating the deficiencies found during the inspection and SCN u/s 5 of the EPA for not following the HWM Rules. 
Decision on Scrutinizing Committee on 11.03.2011
Ask the unit to confirm its reply on an affidavit and submit bank guarantee of Rs. 50,000 under section 5 of the EPA valid for one year. Also ask the unit to apply for consent to operate and authorization under HWM Rules. 
	Plot Area: 100 sqm
DG set: nil
Year of commencemnt: 2008
Trade eff: 0.06 KLD.Adequacy report submitted dated 30.12.2010 but in effluent analysis report cadmium, zinc, lead parameters are not mentioned.
Furnace installed with wet scubber and SMR submitted dated 06.01.2011.
	File be put up administratively. 
	File be put up administratively. 

	50
	36803
	31-03-2011
	UNILITE PLASTIC INDUSTRIES (P) LTD
	62
	NAJAFGARH ROAD INDUSTRIAL AREA
	RENEWAL
	Mfg. of Plastic Films
	Earlier CTO_R issued valid upto 22.03.2007.
Applied for CTO_R on 03.07.2007 vide ID no 22108.
	 
	Plot Area: 400 sqm
DG set: 380 KVA,NMR submitted dated on 11.03.2011.
Year of commencemnt: 1992
Trade eff: nil.
	Recommended for grant of renewal of consent without roto gravure printing.
	Issue renewal of consent without roto gravure printing. Subsequently, inspection be conducted. 

	51
	36805
	31-03-2011
	AAA VEHICLEADES PVT. LTD
	9/47
	KIRTI NAGAR INDUSTRIAL AREA
	OPERATE
	Body shop with paint booth.
	Earlier CTE issued valid upto 10.05.2012.
Applied for authorization under HWM Rules on 31.03.2011.
	Decision on 31.03.2011
Issue consent  to establish. Ask the unit to apply for consent to operate and authorization under HWM Rules in view of industrial use of the paint immediately. 
	Letter issued to the unit on 16.05.2011.
Plot Area: 882 sqm
DG set: 35 KVA, NMR submitted dated on 01.03.2011.
Year of commencemnt: June,2010
Trade eff: nil.
	Recommended for grant of consent to operate and authorization under HWM Rules. 
	Issue consent to operate and authorization under HWM Rules. 

	52
	36806
	31-03-2011
	MARVEL WIRES
	429/7, GALI NO-1
	FRIENDS COLONY INDUSTRIAL AREA
	OPERATE
	Copper wire drawing and super enamelling on copper wire.
	Applied for CTE on 13.04.2009.
	 
	BUA:  100 SQ Mts.
Water Consumption : 120 Lts/Day.
GW:Nil.
Waste Water generation : 
(a) Domestic effluent:  100Lt/Day
(b) Trade effluent: NIL
Date of Commissioning: Jan 2009
ETP :  N/A.
Test Report (Air) within limit : Y
SMR: Yes (24.04.2009)
D.G.SET:  nil
NMR submitted :N/A
Bank guarantee of Rs. 1 Lakh under Air Act has been submitted subsequent to closure directions issued from DPCC. 
	Recommended for revocation of closure directions and issuance of consent to operate and authorization under HWM Rules. 
	Ask the unit to submit fresh stack monitoring report from approved laboratory of DPCC. 

	53
	36810
	31-03-2011
	EROS RESORTS & HOTELS LTD
	13B, MAYUR VIHAR DISTRICT CENTRE, PHASE-I
	NC-E
	OPERATE
	Hotel Industry.
	CTE granted valid upto 07.04.2009.
	 
	BUA:  27680.242 SQ Mts.
Water Consumption :186 Kilo Lts/Day.
GW:Yes.
Waste Water generation : 
(a) Domestic effluent:  91 Kilo Lt/Day
(b) Trade effluent:64 Kilo Lt/Day.
Date of Commissioning: April / May 2011.
ETP / STP: Yes.DEC 2010.
Test Report (Air) within limit : Y
SMR: Yes 14.02.2011.
D.G.SET:  2 * 1250 KVA.
NMR submitted :Yes, 05.02.2011.
	Ask the unit to submit the effluent analysis report for the complete parameters, stack monitoring report for the two D.G. Sets of 1250 KVA from approved laboratory of DPCC and itemwise compliance of the conditions imposed in consent to establish and environmental clearance on affidavit. Inspection be conducted. 
	Effluent analysis report and stack moniotirng report of D.G. Sets submitted as informed by CMC officials. Ask the unit to submit itemwise compliance of the conditions imposed in consent to establish and environmental clearance on affidavit. 

	54
	36812
	31-03-2011
	TAJ PALACE HOTEL
	2, SARDAR PATEL MARG
	NC-ND
	RENEWAL
	Five Star Hotel.
	CTR (Y) issued on 01.06.2006 and valid upto 28.01.2008 Vide C.No.14923.
CTR (Y) issued on 15.04.2010 and valid upto 18.05.2011 Vide C.No.23284.
	 
	1.Date of Commencement: 1982
2.Trade effluent: 430,000 lt/d, 
3. G.W: 22,000 lt/d
4. D.G.Set: 2x1500 KVA  & 3x1050 KVA
	Ask the unit to take rectification measures as effluent analysis report is exceeding the limit w.r.t phosphate and submit the fresh complete effluent analysis report from approved laboratory of DPCC. The unit must use  the treated waste water for the entire cooling requirement so that fresh water is conserved and treated waste water get optimally utilized. Ask the unit to install the recycling system for reuse of treated waste water in cooling towers, toilet flushing etc supported by a water mass balance chart. Also unit may be asked to install the solar water heating system and to install use of CFL, BEE labeled equipments to conserve the energy. Inform to DJB regarding ground water extraction.  Ask the unit to  submit stack monitoring report w.r.t. D.G. Set more than 1000 KVA,  to substantiate the compliance of gazette notification 09.07.2002. 
	Unit has submitted water mass balance chart and monitoring reports as informed by CMC officials. Issue renewal of consent. Inform to DJB regarding ground water extraction.


	S. No.
	I.D. No
	appl_dt
	Industry Name
	Industry Address
	Industrial Area
	Category
	Activitiy / Product
	Consent Status
	Earlier Committee Decision
	Remarks / Action Taken / ATR
	Recommendations of Scrutinizing Committee on 25.05.2011 / 26.05.2011
	Decision recommended by CMC(Orange) on 02.09.2011

	1
	34842
	30-01-2008
	RAINBOW ICE CREAM
	779, JOSHI ROAD, KAROL BAGH
	NC-C
	RENEWAL
	Mfg of Ice Cream.
	Pending
	30.03.05
Consent to operate(Renewal) Ganted.

13.01.111
Issue SCN for refusal of consent and SCN for closure of the unit for non installation of ful fledged ETP
	BUA :  40 SQ MT
CTE : Not Required
EC : NA. ED & BG : NA.
Water Consumption : 350l/d
Waste Water generation : 
(a) Domestic effluent: 50l/d
(b) Trade effluent: 200 l/d on application and 350 l/d on affidavit
Date of Commissioning: 1954
ETP : Oil & grease trap installed.
Test Report (Water) within limit : No.
Test Report (Air) within limit :  NA. 
NMR submitted : NA.
Inspection conducted on : NA
Proof of Conformity : Not Given
1. DG Set:NIL
2. Adequacy Report dated July 2000.
3. CTO valid upto 31.01.02 with CNO  595.
4. CTR valid upto 03.02.08 with CNO  12547.
5. HWM applied on 24.04.07.
SCN for refusal of consent and SCN for closure of the unit for non installation of ful fledged ETP issued on 01.03.2011
Unit has submitted its reply of SCN for refusal of consent and SCN for closure on 14.03.11 & stating that the DPCC has passed an order on 05.08.05 for Exemption to Tiny Ice cream & candy producing unit from obtaining adequacy report & effluent analysis report & accordingly, they are discharging waste water from the unit after passing through oil & grease trap to sewer.
Now, unit has submitted water effluent analysis report 
on 11.04.11 from DPCC laboratory & parameters 
are with in the prscribed limit.
	Ask DPCC laboratory to conduct fresh monitoring since the earlier test report meeting the standard without ETP. 
	Ask DPCC laboratory to conduct fresh monitoring since the earlier test report meeting the standard without ETP. 

	2
	34674
	29-07-2010
	TODAY HOTELS (NEW DELHI) PVT.LTD
	PLOT NO-1, COMMUNITY CENTRE, PHASE-I, OKHLA
	NC-S
	OPERATE
	Service provider to foreign tourist (Hotel complex)
	Granted
	    13.08.10
Consent to operate be granted with the condition to submit final adequacy report and effluent analysis report from approved consultant / laboratory of DPCC within 03 months, failing which, necessary action as per law be initiated.
      30.09.10
Consent to operate issued on 30.08.2010. No action. 
	The unit has obtained CTE (valid upto 17.12.2009) and CTO (valid upto 28.07.2013) under Orange category for the activity of Hotel Complex without boiler.
Public complaint was received against the unit regarding emitting of smoke from the boiler.
Environmental clearance submitted by the unit dated 10.11.08, there is no information given related to boiler.
The unit was inspected by DPCC officials on 18.02.2011.
As approved, SCN for revocation of CTE &  CTO, SCN for refusal of authorization under HWM Rules, SCN for closure u/s 31 (A) of the Air Act & 33 (A) of the Water Act & u/s 5 of EPA that issued on 08.03.2011.
The unit has submitted its reply on 22.03.11 & 29.03.11 along with photographs w.r.t. hazardous waste, water balance chart, copy of noise monitoring report, copy of ISO 14,001, copy of request letter dated 21.03.2011 addressed to the Registrar guru Gobind Singh Indraprastha University (GGSIPU) for stack monitoring of boilers, copy of form- 3 w.r.t. records of hazardous waste, copy of STP logbook, photographs w.r.t. sludge recirculation system, photographs w.r.t. separate storage of dry and wet garbage etc.
Minutes of the meeting with the members of Confederation of Delhi Industries and CETP Societies held on 01.02.2011 regarding membership of Today Hotel with the CETP Society.
The unit has submitted a copy of form no.1 regarding 
proof of CETP membership vide its letter dt 29.03.2011.
	It was discussed that availability of boiler in such construction projects may not be construed as major change in the activity /  process. Ask the unit to submit bank guarantee of Rs. 50,000 each under Air Act, Water Act and HWM Rules valid for one year. 
	Ask the unit to submit bank guarantee of Rs. 50,000 each under Air Act, Water Act and HWM Rules valid for one year. 

	3
	 
	  
	DMRC, Train maintenance  depot                                                                                                                                                                                          
	Sultanpur
	New Delhi
	 
	Maintenance of Metro Train & their stabling
	 
	 
	A public complaint has been received against the uni ton 07.01.11 regarding the noise pollution caused due to blowing of horn & Maintenance work.
As approvd, the unit was inspected by DPCC officials on 23.02.11 and following were observed:-

1. The unit has installed an ETP & STP (Physico-chemical) separately. But the same were not found in operation and septic conditions were prevailing in various tanks of ETP and STP.
2. It was observed that ETP & STP have not been operated since long and untreated waste water is being discharge into the drain without any treatment.
3. No provision has been made regarding sludge disposal
4. No oil & grease trap has been provided. No operator was present at site.
5. It was reported that horn are blown during maintenance/ stabling hours for safety check of the trains which is essential.
6. Two bore well exist. No permission available at site.
7. Adequate stack height has not been provided with the DG set of 60 KVA.
8. RWH system not provided.
9. Small plants were observed along with boundary wall.
As approved, SCN u/s 21/22  of Air Act & 25/26 of Water Act  
issued to unit on 09.03.11.
Unit submitted its reply on 23.03.11
	Issue reminder for applying consent to establish and consent to operate. 
	Issue SCN for closure incorporating to apply for consent to establish and consent to operate. 

	4
	36142  
	04-01-11
	SELF SEEKER PACKAGING LTD.
	SHED NO 10, SCHEME -I, PHASE-II, DSIDC, OKHLA INDUSTRIAL AREA
	Okhla Industrial Area
	Orange Establish
	POLYBAGS WITH PRINTING (CARRY BAGS).
	Pending
	          31.03.11
Issue consent  to establish with the condition that the unit will comply with the provisions of The Delhi Degradable Plastic Bag Act, 2000 envisaging the minimum thickness of plastic bag as 40 micron and size as 8" x 12".
	As the unit  menstioned its activity as polybags. However, polybags Mfg. unit are likely banned in Delhi
	Decision of CMC(Orange) dated 31.03.2011 be reviewed in view of plastic bags are likely to be banned. Put up in next CMC. 
	Decision of CMC(Orange) dated 31.03.2011 reviewed in view of plastic bags are likely to be banned. Put up in next CMC. 

	5
	35935  
	14-12-10
	SIGNET GARMENTS (P) LTD.
	D2/4, PH-II, OKHLA INDUSTRIAL AREA
	OKHLA INDUSTRIAL AREA
	Renewal
	Mfg. of readymade garments with washing.
	 
	  12.02.10/ 15.02.10
 Issue SCN for closure.
        30.07.10
 Consent refused and issue closure directions. 
           154th (09.11.2010)
 Decision taken on file ratified. Revoke closure directions.
           160th (16.03.2011)
Issue renewal of consent. Inform to DJB regarding ground water extraction. 
	 CTE : valid upto 09.01.06
 Water Consumption : 11000 Lt/d
 Waste Water generation :
 (a) Domestic effluent: 750 Lt/d 
(b) Trade effluent: 9000 Lt/d 
Date of Commissioning: 2006 
ETP : installed Test Report (Water) within limit : yes 
Test Report (Air) within limit : yes
 NMR submitted : submitted 
DG set : 125 KVA and NMR submitted dated 12.12.10.
 Adequacy report of ETP submitted dated May 2010 and test report submitted dated 12.12.10.
 SMR of baby boiler submitted dated 12.12.10 
CTE issued valid upto 09.01.06 vide CNO 12288.
 CTO issued valid upto 12.06.09 vide CNO 16286.
 CTR refused on 15.09.10 refusal no 2024.
It was come to the notice that changes/ cuttings on dates of report & date of sampling have been made in the SMRs of boilers, NMR of D.G.Set and effluent analysis report which were submitted along with CTO (R) application on 14.12.10.
However, the data and results of the SMRs of boilers are same as per previous submitted reports dated 28.07.10.
Acordingly CTO (R) was not issued & the same is placed in the file.
	Earlier decision of CMC(Orange) dated 16.03.2011 be reviewed. Issue SCN for refusal of consent to operate (renewal) since the changes / cutting observed in the submitted test reports along with consent application dated 14.12.2010. 
	Earlier decision of CMC(Orange) dated 16.03.2011 reviewed. Issue SCN for refusal of consent to operate (renewal) since the changes / cutting observed in the submitted test reports along with consent application dated 14.12.2010. Also letter be sent to GGSIU.

	6
	31490
	18-09-09
	VISHAL MEGA MART (VISHAL RETAIL LTD.)
	10209/10210, PADAM SINGH ROAD, KAROL BAGH,
	NC-C
	OPERATE
	Retailing (Trading)
	pending
	07.10.09
Issue Consent to Operate& Consent to Establish.
	CTE issued to the unit on 30.11.09.
CTO valid upto 17.09.12.

Legal notice received against the unit regarding noise pollution caused by air conditioning units.

As approved on file, inspection was conducted on 10.01.11 & following observation were made:
1. Unit was found operation & engaged in the activity of Retailing(Trading).
2. Three DG Sets of 180, 125 & 10 ka were found at  roof top. DG Set of 180 & 125 kva having acoustic enclosure & inadequate atack height.
3. No noise pollution observed due to air conditioner as same was not in operatiuonal. As reported, they are not operating their air conditioner during winter seasons.

Again as per the approval on file, SCN for revokocation of consent was issued to the unit on 09.03.11.

No reply received from the unit so far.
	Decision taken on file be ratified. Recommended for revocation of consent to operate.  
	Decision taken on file ratified. Issue final reminder for rectification of deficincies. 

	7
	32128
	12-09-09
	ROHAN MOTORS LTD
	F-9/B-1
	MOHAN CO-OPERATIVE INDUSTRIAL AREA
	OPERATE
	Repairing & Servicing of Automobiles (Cars)
	 
	             25.01.2010
Ask the unit to apply for Consent to Establish. Refer to DJB for ground water extraction.
    27.04.10
Issue consent to operate and consent to establish with the condition to obtain the permission from DJB for ground water extraction. Ask the unit to apply for fresh authorization under HWM Rules
	As per decision of CMC on 27.04.10, CTO as well as CTE was issued to unit on 03.06.10 & also issued a letter to submit fresh application for authorization under HWM Rule.
A public complaints have been received in this office on 28.03.10 & 31.03.2011
.As approved , the unit was inspected by DPCC officials on 06.04.11 and following observations were found:-
1. The unit has installed an ETP but same was not found in operation and trade effluent generated from the washing is being discharged without any treatment.(2). It reveals from the condition of ETP that it has never been operated. Even pipe line provided for ETP was not connected with the motor of collection tank.(3)  Washing of vehicles are also being carried out in the passage area besides washing ramp.(4) Adequate stack height has not been provided with paint booth and D.G.Set of 140 KVA.(5).  As reported, the unit is in operation about last five years. 
6.  The unit is not complying with the provisions of HWM Rules.(7).  No ETP logbook & hazardous waste records were available.(8) One bore well exist.
9.  No dry or wet sludge was observed. 
As per approval on file, SCN for closure u/s 33 (A) of Water Act, u/s 31 (A) of Air Act & u/s 5 of EPA and SCN for revocation for conents (CTE & CTO) were issued to the unit issued on 18.04.11 & also a letter to DJB to take necessary action w.r.t. ground water extraction issued on 18.04.11
Unit submitted its reply on 12.05.11, 16.05.11 
along with an affdavit & stating that they have rectify 
all the deficiencies observed during inspection. Unit has 
submitted fresh CTE application on 18.05.11 vd ID 37117 
& also submitted fresh application for authorization under 
HWM Rule on 18.05.11 vd 0777. Unit has also stating that 
fresh CTO application will be submitted after receiving 
monitoring reports from DPCC.
	Decision taken on file be ratified. Recommended for revocation of consent to establish. Ask the unit to submit bank guarantee of Rs. 50,000 each under Air Act, Water Act and HWM Rules valid for one year. 
	Decision taken on file ratified. Issue letter for revocation of consent to establish. Ask the unit to submit bank guarantee of Rs. 50,000 each under Air Act, Water Act and HWM Rules valid for one year. 

	8
	28341
	12-10-08
	DCM LTD (PARK SQUARE)
	MANOHAR LAL KHURANA MARG, KISHANGANJ
	NC-C
	 
	Residential Complex
	 
	             30.12.2008
Waste water details may be correctly submitted and contradictory figures in the Consent to Establish application in this regard must be properly reconciled supported by an affidavit. Call on 28.01.2009 with environmental clearance. 
                   28.01.2009
Ask the unit to file environmental clearance. Call on 12.03.2009 
                  12.03.2009
Issue reminder for enviornmental clearance. Call on 22.04.2009 
                 03.06.2009
Issue final reminder for enviornmental clearance. Call on 22.07.2009
                     05.08.2010
Ask the unit to submit the affidavit that no construction has been done and also to submit affidavit for compliance of enviornmental clearance's conditions.
               31.03.2011
Inspection be conducted without waiting for minutes and file be put up administratively
	Letter was issued to the unit on 29.09.10 to submit an affidavit that  no construction has been done and also to submit affidavit for compliance of enviornmental clearance's conditions.

Unit submitted its reply in the form of Affidavit on 13.10.10

Unit submitted a letter on 09.03.11 requesting to issue CTE.

An inspection was carried out byDPCC officials on 25.04.11& following observations were made:
1. No construction activity for Residential Complex was observed.
2. No excavation activity for residential complex was observed.
3. A site office has been constructed in the premises.
4. Acoustic enclosure provided with both DG sets (62.5 KVA & 200 KVA).
5.Permission for 8 Nos. of borewell to be obtained from DJB. Proposal recommended by the Advisory committee for existing 8 Nos. of Borewell
	Recommended for grant of consent to establish. 
	Issue consent to establish. 

	9
	28786
	27-01-2009
	MEHANDRU AUTOMOBILES
	T-16, PHASE-II
	OKHLA INDUSTRIAL AREA
	Establish
	work shop cum service station of two wheelers
	Pending
	07.05.2010 
 Seek compliance report from concerned authorities.
13.08.10
Re-inspection be conducted to know the operational status of the unit through pasting the letter.
   07.02.11
Seek compliance report from the concerned agencies.
	1. Comencement: After getting NOC
2.Trade effluent-3000 lt/day, ETP proposed
3.DG-nil. 4.GW-nil as per application but shown as 4000 lt/day in affidavit.
5. CTO not applied. 6.HWM applied
Closure directions issued to the unit already as per CMC decision dated 21.12.2009/22/12.2009 while considering the case of unit located at shed no 29, DSIDC, Phase-II, Okhla Industrial Area.
No complaince received from concerned Authority. However letter from the unit returned back.
Inspection carried out by DPCC officials on 17.9.10 and following were observed:
1. Unit found closed and removed plant and machinery from the premises.
2. Premises is being used as a godown for wooden and no industrial activity was observed.
3. As reported, power supply of premises has been disconnected.
As per the CMC decision dated 07.02.11, letters were issued to concerned agencies.  
Owner of the premises has submitted the letter on 08.04.2011 w.r.t closure direction issued to the unit namely M/s Mehandru Automoblies on 24.02.2010 and  informaing that the said unit is already left the premises & no pollution activity has been carried out  in the
 premises & requestted for re-connection electricity & water supply.
Owner of the premises has also submitted a RTI application on
 27.04.11 for knowing the status of the decision by DPCC 
w.r.t his letter dated 08.04.11.
	Ask the landlord to submit an affidavit to the effect that any unit, in future,  will be established in the premises with prior approval of DPCC only. Also ask the landlord to submit the bank guarantee of Rs. 1 Lakh each under Water Act and HWM Rules valid for one year. If landlord does so, closure directions be revoked. 
	Ask the landlord to submit an affidavit to the effect that any unit, in future,  will be established in the premises with prior approval of DPCC only. Also ask the landlord to submit the bank guarantee of Rs. 1 Lakh each under Water Act and HWM Rules valid for one year. If landlord does so, closure directions be revoked. 
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	1
	22457
	16-07-2007
	SPIRIT GLOBAL PVT. LTD
	COMMERCIAL COMPLEX AT PLOT NO-9, JASOLA DISTRICT CENTRE
	NC-S
	 
	Office Complex
	 
	                       18.12.2008
The unit came for personal hearing today.  It has started its construction in 2005 with the project cost of Rs. 54.06 Crores and without applying for Consent to Establish till 16.07.2007. Secondly, it is misrepresenting its built up area as less than 20,000 sqm and when the IIT Survey Team measured the area it was found to be more than 20,000 sqm and therefore requiring environmental clearance which was not taken. Thirdly, the unit has started operation without taking Consent to Establish. Fourthly the SIT found several deficiencies during inspection in August, 2008. The unit was found drawing ground water without CGWA clearance and releasing 45 KLD of waste water without providing STP/ETP. The effluent analysis carried out by DPCC laboratory found all the parameters exceeding the prescribed standards.  In view of the above, the Committee strongly felt that this is a fit case of closure; therefore, notice for closure must be issued immediately giving 15 days time. Call on 07.01.2009.
                            07.01.2009 :
 Call on 28.01.2009 for final decision.
                          28.01.2009
: Reply be examined carefully and file be  put up administratively within 01 week.
                         16.02.2009
:Sh. A.N. Singh, Scientiest, DOE 
to study the reply w.r.t. SIT deficiencies and 
submit the file administratively within a week.
                        21.01.10 
 Inspection be conducted to know 
the present status to decide the next 
course of action w.r.t. closure
                          09.11.10
Issue SCN u/s 33(A) of the Water Act and also to ask the unit to submit completion certificate clearly indicating the built up area.
	As approved, closure directions u/s 33 (A) of the Water Act were issued on 17.02.11 since no reply was received from the unit with in stipulated time in response to SCN u/s 33(A) of the Water Act issued on 27.12.10.

The unit has submitted its reply  on  01.03.11, 08.03.11, 04.04.11, 29.04.11, 09.05 11. The unit also submitted adequacy report of STP & point wise compliance affidavit vd its letter submitted on 09.05.11 & 29.04.11 & requested for restoration of power supply & revocation of closuree direction . The main points of the compliance affidavit are as follows:-  
1. That ours is a commercial complex & presently having  80% occupancy & there is no food cortyard.
2. That we are in process to apply for CTO.
3. That the STP plant is of Aerobi biological system ECO-R Model which was designed and installed by M/s ACME ENVIRO SOLUTION (P) LTD . Copy of  operational & maintaince manual is enclosed.
4. That by pass facility which exist earlier to drain out the effluent for any emergency has been totally closed and the same has been now connected with collection/ equaization tank of STP.
5. That we have developed the green area in our back portion & surrounding. We are using the treated water for horticulture purpose.
6. This is a purly a commercial office complex & there is no food court yard. As discussed with the consultant, the STP has been designed & abled to meet the prescribed standards.
7. That the run-off open area has also been connected to rain harvesting system and periodical maintenance is in progress.
8. That the solar light has been provided.
9. That the Energy saving lights such has CFL has been provided in the basements.
10 That the green belt has been sufficiently provided around and adjacent to our complex.
11. That the doors of DG set rooms has been replaced with acoustically treated..

CTO not applied so far.
	The environmental damages and bank guarantee has not been imposed earlier in this case and the similar other construction projects have filed the petition before Hon'ble High Court in which DPCC has filed the LPA against the order of High Court. In view of recent favourable ground found for imposing of environmental damages under the provisions of pollution control act while pursuing the case before High Court, the environmental damages and bank guarantee may be decided by CMC(Orange) for deciding the revocation and consent to establish. Unit may be called for personal hearing by the SEIAA in view of the IIT survey of built up area and the earlier letter issued to MOEF in this regard. 
	Case was considered on 17.06.20111 and decision implemented. No decision warranted in this meeting.  

	2
	28985
	11.02.2009
	Servo Pumps Private Ltd.
	C- 30, Sector 5, DSIDC
	Bawana industrial Area
	Renewal
	Mono block pumps, Jet Pumps and Submersible Pumps for house hold and indstrial use
	CTE granted on 25.11.2009
	 
	BUA: 200 sqm
GW: Nil
Water Consumption: 300 lit/dy 
Waste Water:
(a) domestic effluent: 275 lit/dy
(b) Trade Effluent:Nil
Year of  estblishment: Sept 2008
Affidavit in the name of DPCC

Letter received on 25.03.2011 regarding non issuance of CTO. 
	Recommended for grant of renewal of consent. 
	Issue renewal of consent. 

	3
	34276
	21.06.2010
	Rolex Products
	PLOT NO 31, POCKET-J, SECTOR-2, DSIDC
	BAWANA INDUSTRIAL AREA
	Operate
	Mfg of perfumery & cosmetics
	CTE granted on 19.11.2009
	05.08.2010
Inspection be conducted.
25.11.2010 
File be put up administratively. 
	BUA: 150 sqm
GW: Nil
Water Consumption: 250 lit/dy 
Waste Water:
(a) domestic effluent: 20 lit/dy
(b) Trade Effluent:Nil
Year of  estblishment: Nov 2009

CTE issued on 19.11.2009
Applied for CTO on 21.06.2010
Inspection conducted on 23.09.2010:-
1. The unit was found in operation, during the inspection filling of vanishing cream was going on.
2. As seen and as informed the unit is engaged in the activity of making vanishing cream, turmeric cream & vaselene cream.
	Recommended for grant of consent to operate. 
	Issue consent to operate. 

	4
	35358  
	12-10-2010
	VINEET ENTERPRISES
	PLOT NO-305, POCKET-E, SECTOR-5, DSIDC INDUSTRIAL COMPLEX BAWANA INDUSTRIAL AREA
	Bawana Industrial Area
	Orange Operate
	Mfg. of Rubber Auto Parts and Readymade Garments without trade Effluent.
	 
	Implement the earlier CMC(Orange) decision dated 25.11.2010.
	File be put up administratively.
	Confirm closure directions. 
	Issue SCN for refusal of consent and confirm closure directions. 

	5
	30179
	03.06.2009
	ZUBEDA BEGUM
	PLOT NO 7, POCKET-O, SECTOR-2, DSIDC, BAWANA INDUSTRIAL AREA
	Bawana industrial Area
	Orange Operate
	Mfg of PVC cables
	 
	 
	BUA : 130 sqm
Water Consumption : 650 lt/day
Domestic : 100 Lt/day
Trade effluent : Nil.
Date of Commissioning : 2007
D.G. Set : Nil.
Unit has submitted a letter requesting to grant consent to operate.
	Recommended for grant of consent to operate. 
	Issue consent to operate. Inform to DJB regarding ground water extraction. 
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	1
	35983
	20-12-2010
	SHAMA INTERNATIONAL PVT. LTD
	C-27, PHASE-I, OKHLA INDUSTRIAL AREA
	Okhla Industrial Area
	Orange Establish
	MANUFACTURING OF READYMADE GARMENTS (WITHOUT WASHING).
	Pending
	                  16.03.11
Inspection be conducted in view of CTE already granted under Green category. Issue letter to the unit for removal of discrepancies in consent application.
	Letter to the unit for removal of discrepancies in consent application issued on 21.04.11
An inspection was carried out by DPCC officials on 11.05.11& following observations were made:
1. The unit is found operational & engaged in the activity of Mfg. of Readymade garment with trade effluent.
2. Washing is done at the premises.
3. No ETP has been installed for treating trade effluent generated from washing
4. One diesel fired boiler exist with inadequate stack hight.
	Issue SCN u/s 31(A) of the Air Act and u/s 33(A) of the Water Act.
	Issue SCN u/s 31(A) of the Air Act and u/s 33(A) of the Water Act.

	2
	35566  
	03-11-2010
	DELITE HI-TECH FURNITURE INDUSTRIES (P) LTD
	B-233A, PH-I, OKHLA INDUSTRIAL AREA
	Okhla Industrial Area
	Orange Establish
	MFG. OF STEEL AND WOODEN FURNITURE WITH POWDER COATING AND PAINTING.
	Granted
	               14.02.11
Issue consent to establish. Subsequently, inspection be conducted to check the trade effluent as the unit has mentioned the trade effluent in its earlier consent to operate.
	CTE issued on 28.03.11 vd CNO 27013.
An inspection was carried out by DPCC officials on 11.05.11 & following observations were made:
1. Unit was found operational & engaged in the activity of Mfg. of steel & wooden furniture with powder coating & painting.
2. No channalization has been provided with paint booth. Down draught system is provided with paint booth.
3. Powder coating process was carried out. Cyclone seprators were provided with powder coating unit.
4. Electric saw m/c was used. Bag filters provided with saw m/c.
5. Phosphating was done & trade effluent generated through Phosphating & down draught system (of paint booth) was directly discharged into the sewer w/o any treatment.
6. No ETP has been installed.
7. No bore well exist.
8. No proper HWM Rules provided.
	Issue SCN u/s 33(A) of the Water Act and u/s 5 of the EPA.
	Issue SCN u/s 33(A) of the Water Act and u/s 5 of the EPA.

	3
	35491  
	26-10-2010
	AB HEALTH PRODUCTS PVT. LTD.
	B-119, OKHLA INDUSTRIAL AREA, PHASE-I
	Okhla Industrial Area
	Orange Renewal
	manufacturing of molding of soap chips into bars and cakes for bathing and medicial use.
	Granted
	                   07.02.11
Issue renewal of consent and authorization under HWM Rules thereafter inspection be conducted.
	CTR issued on 03.03.11 vd CNO 26799.
Authorization under HWM Rule issued on 21.03.11.
An inspection was carried out by DPCC officials on 04.04.11 & following observations were made:
1. The unit has installed an ETP (batch type) which was found in operational condition.
2. Adequate stack height and acoustic enclosure has been provided with the DG set of 62.5 KVA.
3. Source of water is outside tanker.
	No action. 
	No action. 

	4
	31885
	12-11-2009
	DEVYANI INTERNATIONAL LTD.
	S-32, GREEN PARK
	NC-S
	OPERATE
	Resturant
	Pending
	            21.12.2009 / 22.12.2009
Ask the unit to submit valid health licence from MCD & eating house licence from Delhi Police.

                   139th
Issue SCN for refusal of consent.
                 19.08.10
Inspection be conducted along with personal delivery of the letter. 
                  07.02.11
Consent refused and issue SCN for closure of the unit to M/s Devyani.
Issue SCN u/s 21/22 of the Air Act and u/s 25/26 of the Water Act to M/s Sony World.
	SCN issued to M /s sony world on 13.04.11.
SCN returned back with a note' No such firm at this number".
Letter was hand delivered to the unit on 27.05.11.
Inspection of the unit was carried out by DPCC officials and following were observed:
1.Unit was found in operation, engaged in the activity of Restaurant & eating house at S-32, first floor & 2nd floor.
2. Unit is havingDG set of 125 KVA with acoustic enclosure but inadequate stack height.
3. Channelization provided but inadequate stack height.
4. ETP found installed but not in operation. As informed,. it is under maintance from last 3-4 months.
5. one another unit namely m/s Sony World operating at Ground Floor having one DGset of 45 KVA with acoustic enclosure & inadequate stack height.
	Call for personal hearing before Member Secretary, DPCC. 
	Call for personal hearing before Member Secretary, DPCC. 

	5
	29727
	01-05-2009
	HOUSING & URBAN DEVELOPMENT CORPORATION LTD.
	HUDCO PLACE, ANDREWS GANJ
	NC-S
	RENEWAL
	Maintenance and operation of DG Set, Boilers & Scrubber.
	Pending
	              13.01.11
Inspection be conducted.
	Inspection of the unit was carried out by DPCC officials on 27.05.11and following were observed:
1. M/s HUDCO is operating at the premises as a guest house (not functioned because of disputed by M/s M. S. SHOES LTD.) i.e. 10 nos.
2. RWH pits are provided.
3. No solar water heating system provided.
4. Green belt area is covered around 5 acre.
5.   3 boilers of 2 Tonnes each with wet scrubber & proper stack height provided.
6. Another unit M/s ANSAL PLAZA is operating separately in the same premises & engaged in the activity of Mall & shopping complex having 4 restaurants namely as Mc Donalds, Yellow Mirchi , Korean cuisine & Harry’s  having seating capacity 40 seats, 50 seats, 29+ rooms 48 seats resp. All restaurants having ETP plants which were in operational condition.
M/s ANSAL also having 3 DG sets of 1250 KVA , 500 KVA & 320KVA with acoustic enclosure & Adequate st height.
7. Two another guest house in the name of Karnataka Bhawan & Indian oil having solar heating system but no STP/ ETP installed.
8.   5 borewells exist but 3 not on operational & 2 are in operation
9.  Unit having 2 nos. of DG sets 1000 KVA each  
with acoustic enclosure & Adequate st height.
	Seek the consent to establish and consent to operate under the provisions of Air Act and Water Act for the integrated activity of the whole complex including the sewage disposal works. 
	File be put up administratively. 

	6
	35573  
	04-11-2010
	CREATIVE IMPEX
	C-55/2, PH-II, OKHLA INDUSTRIAL AREA
	Okhla Industrial Area
	Orange Renewal
	Mfg. OF READYMADE GARMENTS WITH WASHING.
	Pending
	           30.01.2009 
SIT to inspect and report. Call on 18.03.2009 
              22.05.09 
Ask the unit to correct the deficiencies noted by SIT during the inspection and confirm on affidavit. Call on 08.07.2009.
               14.02.11
Inspection be conducted to check the existence of boiler.
	The unit was inspected by DPCC officials on 02.05.2011 and following were observed:
1. The unit has installed an ETP which was not found in operational condition.
2. Trade effluent generated from the process is being discharged into the sewer without any treatment.
3. No dry/wet sludge was observed.
4. Not ETP logbook was available.
5. The unit is having two oil fired boilers and one electric boiler.
6. The unit is having two D.G. sets of 110 and 125 KVA respectively, which have been placed in common partially treated acoustic room. Lining of acoustic treatment are found in broken condition at various places.
One bore well exist.  
	Issue SCN u/s 31(A) of the Air Act and u/s 33(A) of the Water Act
	Issue SCN u/s 31(A) of the Air Act and u/s 33(A) of the Water Act

	7
	35734  
	25-11-2010
	BADDI FOILS PVT. LTD.
	S-86, PHASE-II, OKHLA INDUSTRIAL AREA
	Okhla Industrial Area
	Orange Operate
	ROTOGRAVURE PRINTING WITHOUT WASHING.
	 
	          05.10.09
 Issue consent to establish 
           14.02.11
Inspection be conducted.
	Inspection of the unit was carried out by DPCC official’s on 06.05.11 and following were observed: 
1. Unit found in operation.
2. Unit is not comply with the provision of HWM Rules.
3. Water source is through tankers (as reported)
4. Unit have one DG set of 63 KVA which is acoustically enclosure.
	Issue SCN u/s 5 of EPA. 
	Issue SCN u/s 5 of EPA. 
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	1
	35602
	10.11.2010
	Shiv Farm
	KH. NO.-77/15/4 (2-12), 16 (4-16), 25/1(2-0) & 25/2 (2-10), VILLAGE BAKHTAWAR PUR PALLA
	NORTH WEST
	Orange Operate
	FARM HOUSE ONLY.
	CTE issued on 10.09.2010 and valid upto 09.09.2011 Vide C.No. 25506.
	14.02.2011 Issue SCN for refusal of consent and inform concerned DC, MCD for cancellation of permission for the commercial activity in view of the representation received from the unit. 
	SCN was sent on 07.04.2011.
Reply was received on 20.04.2011.
	Unit has again represented showing its willingness to operate. Recommended for grant of consent to operate. 
	Issue consent to operate. 

	2
	30846
	23.07.2009
	Khurana Furniture
	T-2/162.
	Mangolpuri Industrial Area
	Orange Renewal
	Mfg. of PVC compound and footwear.
	CTE Not Applied.
CTO (Y) issued on 15.01.2003 and val;id upto 23.07.2005 Vide C.No.2826.
	21.01.2011 Issue SCN u/s 21/22 of the Air Act and u/s 25/26 of the Water Act to M/s Maxwell International.
Issue SCN u/s 31(A) of the Air Act to M/s Khurana Furniture.
	SCN was sent on 10.03.2011.
Reply was received on 01.04.2011.
	Ask the unit to categorically state that plastic scrap will not be used and to submit the bank guarantee of Rs. 50,000 under Air Act valid for one year. If unit submit the aforesaid documents, renewal of consent be issued. 
	Ask the unit to categorically state that plastic scrap will not be used and to submit the bank guarantee of Rs. 50,000 under Air Act valid for one year. 

	3
	28610
	06.01.2009
	Commercial Complex "Ring Raod Mall" Jaksons Buildwell Pvt. Ltd.
	Plot No 21, mangalam Place, Sector- 03, Rohini
	NC- NW
	Orange Operate
	Establishment of commercial complex.
	CTE (Y) issued on 09.04.2008and valid upto 08.04.2009 Vide C.No. 28610.
	13.01.2011 Ask the unit to submit the fresh effluent analysis report with complete parameters and stack monitoring report for the D.G. Sets of more than 1000 KVA to substantiate the compliance of gazette notification dated 09.07.2002 from approved laboratory of DPCC.  Also ask the unit to submit fresh noise monitoring report in the worst scenario i.e. all the D.G. Sets are in operational condition. Also ask the unit to submit the present status of environmental clearance conditions on an affidavit. Inform to DJB regarding ground water extraction. 
	Letter was sent on 24.02.2011.
Reply was received on 31.03.2011
	Recommended for issuance of SCN for refusal of consent in view of incomplete parameters in effluent test report and the emission parameters are not found in the units in consonance with notification dated 09.07.2002. Copy of this letter be sent to Delhi Technology University also. 
	Test reports submitted on 10.08.2011 as informed by CMC officials.  Issue consent to operate. 

	4
	20811
	09.03.2007
	Bajrang bali industries
	89, Phae- II
	Badli Industrial Area
	Orange Renewal
	Cold re- rolling
	CTE Not Applied.
CTO (Y) issued on 31.12.2003 and valid upto 05.07.2005 Vide C.No.9124.
CTR (R ) applied on 24.06.2005
	21.01.2011 Consent application be made infructuous as the three years of submission of consent application have been lapsed for which fee was submitted.Issue SCN u/s 21/22 of the Air Act and u/s 25/26 of the Water Act to Bajrang Bali Industries.  
Issue SCN u/s 21/22 of the Air Act and u/s 25/26 of the Water Act for not obtaining consent with separate demercation with GIG Auto Industries. 
	Letters was sent on 10.03.2011.
Reply was received on 29.04.2011.
	Ask the unit to remove the plant and machinery including the ETP & ECS from the premises and submit an affidavit as pickling is prohibited in MPD-2021.
	Ask the unit to remove the plant and machinery including the ETP & ECS from the premises and submit an affidavit as pickling is prohibited in MPD-2021.

	5
	35675
	18.11.2010
	Crescent Engg. Corporation.
	D- 3, DSIDC Engg. Complex Phae- I,
	Mangolpuri Industrial Area
	Orange Operate
	Mfg. of water/ Air Chilling plant (Engg. Work) and other refrigeration and mechanical equipments.
	CTE (Y) issued on 19.11.2009and valid upto 18.11.2010 Vide C.No. 22005.
	14.12.2011 Inspection be conducted in view of negative list.
	Inspection of your unit was conducted on 27.04.2011:
Observations:
1. Unit found operating, engaed in assembling/ manufacturing of water & Air Chilling plant and other refrigerators with refron R-22 gas (i.e pentafluoro ethane, 1, 1, 1, 2- tetraflouro ethane, deflourometahne refrigeration R-22 gas) use.
2 Approx. 3-4 units/ plants mfg. in a month & sold to Delhi & outside Delhi users.
	Recommended for grant of consent to operate without compressor.
	Issue consent to operate without compressor.

	6
	34607
	23.07.2010
	Sanjay Goel
	B- 44, Phase- II
	Mangolpuri Industrial Area
	Orange Renewal
	Mfg. of granules.
	CTE Not Applied.
CTO (Y) issued on 23.05.2003 and valid upto 25.06.2005 Vide C.No.5076.
CTO (Y) issued on 08.06.2004 and valid upto 20.05.2007 Vide C.No.10729.
CTR (P) applied on 03.05.2007 Vide Id.No.21203.
	21.01.2011 Issue SCN for refusal of consent, SCN u/s 31 (A) of the Air Act and u/s 33 (A) of the Water Act.
	SCN was sent on 07.03.2011.
Reply was received on 13.04.2011.
	Consent refused followed by inspection. 
	Consent refused followed by inspection. 

	7
	37012
	03.05.2011
	Expan Plastic Packaging
	B-5, DSIDC ENGG. Complex, Phase-I
	Mangolpuri Industrial Area
	Orange Operate
	Mf. of plastic moulds and plastic mouldings.
	CTE (Y) issued on 25.02.2011 and valid upto 24.02.2012 Vide C.No.26752.
	21.01.2011 Issue consent to establish with the condition to provide hood & suction arrangement followed by a duct raised well above the roof levels (at least 2.0 meter above roof level) to channelize the process emissions. Issue SCN u/s 21/22 of the Air Act and u/s 25/26 of the Water Act for not obtaining consent to operate. 
	SCN was sent on 29.03.2011.
Reply was received on 05.04.2011.
	Case be put up in chronology. 
	Case be put up in chronology. 

	8
	35996
	21.12.2010
	Coswel Products
	Plot No. B-11, 
	G.T. Karnal Road Industrial Area
	Orange Establish
	Mfg. and packing of cosmetics.
	CTE (Y) issued on 06.11.2006 and valid upto 05.11.2007 Vide C.No.17373.
	16.03.2011
Case be deferred till next CMC. A committee comprising of Sh. B. Kumar, SEE, Sh. M.Dwarkanath, SSO & Sh. P.S. Pankaj, AEE, Enquiry Counter and Sr. Accounts Officer, DPCC to give report within a week on the issue of inclusion of the cost of land & building in the capital investment for the purpose of consent fee. 
	 
	Report of the committee be placed before CMC(Orange).
	File be put up administratively. 

	9
	30789
	21.07.2009
	The Metropolitan Hotel Nikko (A Unit of Sunair Hotel)
	Bangla Sahib Road
	NC-ND
	Orange Renewal
	Five Star Hotel.
	CTR (Y) issued on 17.08.2006 and valid upto 09.06.;2009 Vide C.No.16465.
CTR (P) applied on 21.07.2009 Vide Id.no. 30789.
	13.01.2011
The unit must use the treated waste water for the entire cooling requirement so that fresh water is conserved and treated waste water get optimally utilized. Ask the unit to submit a feasibility report for installation of Sewage Treatment Plant(STP) for treating the entire waste water and for installation of recycling system for reuse of treated waste water in the cooling tower, toilet flushing, horticulture etc. supported by a water mass balance chart. Unit is also required to submit a fresh effluent analysis report with complete parameters as per new notification from approved laboratory of DPCC. Also unit may be asked to install Solar Water Heating system and ensure use of CFL, BEE labeled equipments to conserve the energy. Inform to DJB regarding ground water extraction. 
	Letter was sent on 24.02.2011.
Reply was received on 19.03.2011
	Ask the unit to submit a time bound feasibility report for installation of STP and reuse of treated water supported by water mass balance chart and for use of CFL, BEE labeled equipments to conserve the energy. 
	Case was considered on 17.06.20111 and decision implemented. No decision warranted in this meeting.  

	10
	35632
	15.11.2010
	Bristol Farms (Guptajee)
	Palla Bhaktawar Road, Alipur, Delhi- 110036 
	North West
	Orange Operate
	Farm House/ parties Lawn.
	CTE (Y) issued on 09.08.2010 and valid upto 08.08.2011 Vide C.No.25086.
CTO (P) applied on 15.11.2010 Vide Id.No.35632.
	14.02.2011
Ask the unit to submit the fresh adequacy report for ETP in view of the rectification done after the inspection dated 29.09.2010. Copy of the letter along with inspection report dated 29.09.2010 be sent to GGS University with a request to clarify as to how the adequacy report was issued inspite of the deficiencies found during subsequent inspection  and to clarify the details of the methodology in batchwise biological treatment mentioned in the adequacy report issued as the waste water is not generated regularly from these kind of establishments.  Also ask the unit to submit Bank Guarantee of Rupees Two Lakh each under Air Act and Water Act valid for one year. Inform to DJB regarding ground water extraction. 
	Letters were sent on 07.04.2011.
Reply was received on 21.04.2011 and 06.05.2011
	Recommended for grant of consent to operate as unit has submitted fresh adequacy report and bank guarantee. 
	Issue consent to operate as unit has submitted fresh adequacy report and bank guarantee. 

	11
	34733
	04.08.2010
	K.D. Ram Lal & Co.
	C-16
	SMA Industrial Area
	Orange Renewal
	S.S. Hor re-rolling.
	CTR (R ) refusal no.1480.
CTR (P) applied on 13.11.2006 Vide Id.No.19679.
CTR (P) applied on 04.08.2010 Vide Id.No.34733.
CTE (Y) issued on 18.10.2010 and valid upto 17.10.2011 Vide C.No. 25791.
	30.09.2010
File be put up administratively with complete chronology including decision of consent to establish and provisions of MPD-2021.
	Inspection of your unit was conducted on 28.12.2011:
Observations:
1. Unit found operating, engaed in S.S. Hort re-rolling CBSF (fuel) used in the annealing furnace.
2. Emission leakage observed from the channelisation besides undersize hoods. Stack height of annealing furnace is unadequate.
3. Bore well connection exist +01 no.
4. DG Set 250 KVA lying in a room with door acoustic. Stack Height inadequate.

SCN was sent on 25.01.2011.
Reply was received on 01.02.2011.
	Ask the unit to submit bank guarantee of Rs. 50,000 under Air Act valid for one year. If unit submits the bank guarantee, renewal of consent be issued. 
	Ask the unit to submit bank guarantee of Rs. 50,000 under Air Act valid for one year and submit an affidavit stating that unit will not use CBSF as a fuel in the annealing furnace. 

	12
	32432
	14.01.2010
	Ahaar Consumer Pvt. Ltd.
	G-37 & G-37/1
	Lawerence Road Industrial Area
	Orange Establish
	Floor and dal Mill
	 
	27.08.2010
Issue SCN u/s 21/22 of the Air Act and u/s 25/26 of the water Act for not obtaining consent to operate.
	SCN u/s 21/22 of Air Act, and 25/26 of water act was sent on 13.10.2010.
SCN u/s 31 (A) of Air Act, was sent on 20.01.2011.
Reply was received on 25.01.2011
	No action as consent to establish / consent to operate already issued. 
	No action.

	13
	35986
	20.12.2010
	Airports Authority of India
	Safdarjung Airport 
	New- Delhi
	Orange Establish
	Operational building at safdarjung airport New Delhi
	 
	16.03.2011
case be put up in next CMC.
	 
	Issue reminder of letter dated 16.03.2011
	Call for personal hearing.
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	1
	29246
	16-03-09
	PRECISION PIPES AND PROFILES COMPANY LTD.
	54-56, PHASE-III
	OKHLA INDUSTRIAL ESTATE
	Orange RENEWAL
	Manufacturing of PVC Profiles and Pellets (i.e PVC Extrusion)
	Pending
	 
	CTE : not required
Water Consumption : 1000 Lt/d
Waste Water generation : 
(a) Domestic effluent: 700 Lt/d
(b) Trade effluent: Nil
ETP /STP: Nil
Test Report (Water) within limit : N/a
Test Report (Air) within limit :  
NMR submitted : submitted dated 27.02.09
DG set : 110 KVA & 250 KVA

CTO isssued on 04.04.03 vd CNO 3886.
CTR issued on 22.06.06 valid upto 26.03.09 vd CNO 15916.

Unit submitted a letter on 06.11.09 with a copy of letter submitted to DJB for obtaining permission for ground water use.

Unit submitted a copy of  CGWA permission on 01.012.09.
Unit submitted a request on 22.06.11 to renew the consent .
Unit again submitted a request on 13.07.11 to renew the consent.
	Recommended for grant of renewal of consent.
	Issue renewal of consent. 


