Minutes of the 173rd meeting of the Committee Constituted for Deciding the Consent under Orange Category, held on 02.11.2011 in the Conference Room of Chairman, DPCC.

   The following persons attended the meeting:

Sh. Keshav Chandra, Chairman, DPCC

Sh. Sandeep Mishra, Member Secretary, DPCC

Prof. S. K. Gupta, IIT-Delhi

Sh. B. Kumar, Addl. Director, DPCC.

Sh. M. Dwarakanth, SSO, Dept. of Env., GNCTD. 

SEEs of CMC – I, II, III & IV.


SEE, BMW Cell
EEs of CMC – I, II, III & IV.


EE, BMW Cell
Following are the minutes of the meeting:- 

Agenda Item No. 1 :  Consent to Operate(Renewal)  cases under Orange category   of  redevelopment areas from 12.08.2009 to 22.03.2011, considered by Scrutinizing Committee on 09.09.2011/ 12.09.2011(70 cases). 

This agenda could not be taken up by the Committee, due to paucity of time, and it was decided to take up the same in the next meeting.

Agenda Item No. 2 : Cases in which closure directions u/s 31(A) of the Air Act/ 33(A) of the Water Act / 5 of EPA are in force, considered by Scrutinizing Committee on 22.09.2011/ 23.09.2011 / 26.09.2011 (145 cases).

Decisions taken with respect to 52 cases of this agenda are tabulated and annexed as Annexure – 1. The remaining cases of this agenda could not be taken up by the Committee, due to paucity of time, and it was decided to take up the same in the next meeting.

Agenda Item No. 3 : Inspection cases in compliance of earlier CMC's decisions, considered by Scrutinizing Committee on 22.09.2011/ 23.09.2011 / 26.09.2011 (39 cases).

This agenda could not be taken up by the Committee, due to paucity of time, and it was decided to take up the same in the next meeting.

Agenda Item No 4: Table Agenda Item No. 1 w.r.t. status of the cases of Udyog Nagar Indl. Area  in which action was taken in pursuance of the complaint received Sh. Ramesh Kumar, Member of Parliament, considered by Scrutinizing Committee on 22.09.2011/ 23.09.2011 / 26.09.2011 (35 cases). 

This agenda could not be taken up by the Committee, due to paucity of time, and it was decided to take up the same in the next meeting.

Agenda Item No. 5-  Fresh Consent to Operate / Renewal cases under Orange category  w.e.f. 04.06.2011 excluding the cases of  redevelopment areas, considered online by Scrutinizing Committee on 17.10.2011 (30cases). 

This agenda could not be taken up by the Committee, due to paucity of time, and it was decided to take up the same in the next meeting.

Agenda Item No. 6 :- Special reference case considered by Scrutinizing Committee on 17.10.2011 (01 case). 

This agenda could not be taken up by the Committee, due to paucity of time, and it was decided to take up the same in the next meeting.

Table Agenda Item No 1: M/s HRA E-Waste Private Limited, A-60, First Floor, Jhilmil Industrial Area, Delhi 95

Issue consent to establish. 

Table Agenda Item No 2: M/s Chintan Environmental Research and Action Group, A-14, First Floor, GTK Road Industrial Area, Delhi-33

Issue consent to establish. 

Table Agenda Item No 3: During the course of meeting, it was deliberated that a list activities proposed to be included in the negative list of MPD-2021 depending upon their pollution potential be prepared. It was decided that all the CMCs may submit a note in this regard to the Addl. Director, DPCC.
Table Agenda Item No 4: The Committee deliberated on the issue of compliance of disconnection of the electricity supply in pursuance of closure directions issued by DPCC. It was decided that the Enquiry Counter should obtain the information w.r.t. K. No of the electricity supply of the unit while accepting the consent application in DPCC. 
Meeting ended with thanks to the chair. 
	Sl. No
	I.D. No
	appl_dt
	Industry Name
	Industry Address
	Industrial Area
	Category
	Activitiy / Product
	Consent / Authorization Status
	Earlier Committee Decision
	Remarks / Action Taken / ATR
	Recommendations of Scrutinizing Committee on 22.09.2011 / 23.09.2011 / 26.09.2011
	Decision recommended by CMC(Orange) on 02.11.2011

	1
	23681
	27.09.07
	PASHUPATI MOTORS
	A-2, DDA SHED, PHASE-I
	OKHLA INDUSTRIAL AREA
	Orange
	Workshop cum Service Station of two wheelers
	(1) CTE : issued on 18.11.09 vd CNO 21908
(2) CTO: not yet applied 
(3) CTO(R) : N/a
(4) Authorization under HWM Rules : applied on 20.02.08 vd ID 4486
(5) Date of Commissioning : after NOC
(6) BUA :  1200 sq ft
(7) Water consumption: 4000 lt/day  
(8) Ground Water :  4000 lt/day
(9) Waste water discharge :
(a) Domestic effluent : 800 lt/day 
(b) Trade effluent: 3000 lt/day
	              13.12.07
Let the unit apply for authorization under HWM Rules also with clear information on waste/used oil
                16.03.09
Ask the unit to file permission from Central Ground Water Authority for extracting the ground water and fresh adequacy report of ETP and noise monitroing report of D.G set from approved laboratories of DPCC. Call on 29.04.09
                      11.05.09
Time allowed till 24.06.09 for full complaince. Call on 24.06.09
                      24.06.09
Time allowed for the last chance. Call on 26.08.09
                    20.10.09 (Orange)
Issue consent to establish. Subsequently inspection by trainee, CMC be conducted
                 21.12.09/22.12.9
Issue closure directions
             13.08.10
Ask the unit to submit bank guarantee of RS. One lakh under Water act & HWM Rules valid for one year.
                           07.02.11       
Seek compliance report from the concerned agencies.
	(1) ETP: Installed.
(a) AR dated 23.07.09 issued by DCE submitted. 
(b) Effluent analysis report dated 23.07.09 issued by DCE submitted.
(c) 5 number of parameters analyzed which are within prescribed limit. 
(2) ECS: N/A
(3) D.G.Set: .Nil
(4) Inspection details: The inspection of the unit was conducted by DPCC officials on 12.11.09 and following were observed:
1. The unit found in operation. 2. ETP was installed but not found in working condition. 3. CTO not applied.4. Washing activity was found & waste water goes directly into the sewer. 5. HW Log book maintained but some data has been repeated and only one display board was found. 
(5) SCN u/s 33(A)/5 of EPA details : not issued direct closure directions issued
(6) Closure directions  u/s 33(A) & 5 of EPA details:   Closure directions u/s 5 of EPA and u/s 33 (A) of the Water Act was issued to the unit on 02.02.10. Accordingly the unit submitted its representation on 22.02.10 along with adequacy report of ETP with test certificate dt 23.07.09 stating that at time of inspection ETP was under servicing and now ETP is perfect and working properly. 
Further, as decided by CMC in its meeting held on 13.08.10, a letter for submission of Bank guarantee of Rs. One Lakh under Water Act & HWM Rules was issued to the unit on 21.09.10. However, the letter was received back undelivered. Again the letter for submission of bank guarantee was issued at the residential address on 27.10.10. Inspection of the unit was carried out by the DPCC officials on 27.12.10 and following were observed:
1. The unit was found locked from outside. 2. As per the local enquiry the unit has been closed & shifted to some other place. 
As decided by CMC dated 07.02.11, Letters were issued to concerned authority i.e MCD, BSES & DJB on 09.03.11
Letter received fron BSES on 29.04.11 stating that 
thay has disconnected electricity supplu on 16.03.11
	Ask the compliance from DJB & MCD and also ask the SDM for effective closure of the unit.
	Ask the compliance from DJB & MCD and also ask the SDM for effective closure of the unit.

	2
	_
	_
	National Zoological Park Cafeteria (adjacent to Zoo parking)
	Mathura Road, New Delhi
	NC
	_
	cafetaria (200 seats)
	(1) CTE : Not applied
(2) CTO: Not applied 
(3) CTO(R) : N/a
(4) Authorization under HWM Rules : N/a
(5) Date of Commissioning : 
(6) BUA : 3500 Sq. ft ( as per inspection report)
(7) Water consumption: 14 KLd ( as per inspection report)
(8) Ground Water : 
(9) Waste water discharge :
(a) Domestic effluent : 
(b) Trade effluent: 
	                       24.06.09
SIT-I to inspect and report. Call on 26.08.2009
           21.12.2009/22.12.2209 
Decision to confirm the dirctions ratified.
                          13.08.10
Seek compliance report from concerned authorities.
	(1) ETP: Not installed. 
(2) ECS: No proper hood & suction arrangement in the kitchen. 
(3) D.G.Set: Nil.
(4) Inspection details: conducted on 21.07.09 & following were observed: 
(a) Cafeteria is located in zoo area, near to car parking.
(b) Ownership lies with the M/s National Zoological Park .
(c) Total seating arrangement is around 200 seats.
(d) As informed average occupancy is around 50%.
(e) Waste water is discharged into sewer without any treatment.
(f) No oil & grease trap exists. Also, no ETP exists.
(g) Unit should install proper hood & suction device over stove in the kitchen area.
(h) Name of the contractor is Sh. Shiv Kumar Singh.
(i) No CTE obtained
(5) SCN u/s 31(A) & 33(A) details : issued on 28.10.09.
(6) Closure directions  u/s 31(A)/33(A)/5 of EPA details :issued on 03.02.10.Since, no reply received
As decided by the CMC dated, letter issued to conserned authority on 29.09.10.
Letter received from DJB on 08.02.11 confirming that dissconnection of water supply.
No complaince received from conserned authorities i.e MCD & BSES.
	Ask the compliance from discom & MCD and also ask the SDM for effective closure of the unit.
	Ask the compliance from discom & MCD and a suitable D.O. letter for the Director, Zoo be put up after conducting an inspection. 

	3
	__
	__
	Hotel Paul’s Court & Utsav Restaurant,
	 5/62, Ajmal Khan Raod, Karol Bagh, New Delhi.
	NC
	__
	Hotel -cum-Restaurant ( 36 seats & 24 No. Guest rooms)
	(1) CTE : not applied
(2) CTO: not applied
(3) CTO(R) : not applied
(4) Authorization under HWM Rules : N/A
(5) Date of Commissioning : 
(6) BUA : 1000 Sq. mts ( as per inspection report)
(7) Water consumption: 11.16 KLD ( as per inspection report)
(8) Ground Water : 11.16 KLD ( as per inspection report)
(9) Waste water discharge :
(a) Domestic effluent : -
(b) Trade effluent: -
	 24.06.2009
SIT-I to inspect and report. Call on 26.08.2010

21.12.2009/22.12.2209 
Decision to confirm the dirctions ratified.
     13.08.10
Seek compliance report from concerned authorities.
	(1) ETP: not installed  ( as per inspection report)
(2) ECS: N/a
(3) D.G.Set: 2x 45 KVA  ( as per inspection report)
(4) Inspection details: conducted on 21.07.09 & following were observed: 
(a) The unit is a hotel-cum- restaurant which was found operational, during inspection.
(b) Source of water supply is bore well. No information provided regarding DJB permission.
(c) Waste water is discharged into sewer without any treatment. No oil & grease trap/ ETP exist at site.
(d) Acoustic enclosure should be provided with DG set and stack height should be raised as per norms.
(e) There are 02 kitchens. Proper hood, suction device and chimney should be provided.
(f) No CTE obtained.

(5) SCN u/s 31(A) & 33(A) details : issued on 28.10.09.
However,no reply was received in response to aforesaid SCN and therefore directions for closure u/s 33 (A) of Water Act & 31 (A) of the Air Act was issued 
(6) Closure directions  u/s 31(A) & 33(A)details : issued on 03.02.10.
As decided by CMC dated 13.08.10, letters were issued to concerned authoritied i.e. MCD, BSES & DJB issued on 29.09.10
No complaince received from the unit as well as 
concerned authorities i.e MCD, DJB & BSES.
	Ask the compliance from discom, DJB & MCD and also ask the SDM for effective closure of the unit.
	Ask the compliance from discom, DJB & MCD and also ask the SDM for effective closure of the unit.

	4
	33447
	07.04.10
	JAWA ENTERPRISES
	A-141, DDA SHEDS, PHASE-II
	OKHLA INDUSTRIAL AREA
	Operate
	Mfg. of Poly bag
	(1) CTE :applied on 11.02.10 vd ID 32762
(2) CTO: applied on07.04.10 vd ID 33447
(3) CTO(R) :N/a
(4) Authorization under HWM Rules :applied on 07.04.10 vd ID 0080
(5) Date of Commissioning : Jan, 2005
(6) BUA : 1200 Sq.mts
(7) Water consumption: 270 Lt/day
(8) Ground Water : Nil
(9) Waste water discharge :
(a) Domestic effluent : 240 Lt/day
(b) Trade effluent: Nil
	                131st
Issue closure directions u/s 33(A) of the Water Act and effective closure u/s 5 of the EPA, 1986 to both units.
                   136th
Pursue for effective closure order.
Recommendations of Scrutinizing Committee on 18.05.2010/19.05.2010/20.05.2010
Ask the unit to submit Bank Guarantee of Rs. One Lakh each under Air Act and HWM Rules. If unit submits, the Bank Guarantee, closure directions be revoked provided Bank Guarantee is also submitted by M/s Matha Offset Pvt. Ltd. 
                     13.08.2010
Ask the unit to submit Bank Guarantee of Rs. One Lakh each under Air Act and HWM Rules. If unit submits, the Bank Guarantee, closure directions be revoked provided Bank Guarantee is also submitted by M/s Matha Offset Pvt. Ltd. as decided in earlier CMC's decision dated 26.07.2010. If, units submit the Bank Guarantee, consent to operate and consent to establish be issued.  
                         17.06.11
Decision taken on file ratified.
	(1) ETP: N/a
(2) ECS: N/a
(3) D.G.Set: Nil
(4) Inspection details: conducted on 05.11.09
1. M/s Jawa Enterprises/ Asia Enterprises operating at Ground Floor. M/s Jawa Enterprises was issued closure direction u/s 5 of EPA. Still the unit is in operation. Electricity connection/ Water connection is still not disconnected.
2. Unit M/s Matha Offset is also in operation, ETP is installed.
3. ETP not in operation defunct. 
(5) Closure directions  u/s 31(A)/33(A)/5 of EPA details : issued on  04.02.10 ( earlier closure direction were issued to the unit on 25.07.07 )
The unit has submitted the BG of Rs. 1 lakh each under Air Act & HWM Rules on 12.01.2011. However, M/s Matha Offset Pvt. Ltd. has failed to submit BG of Rs. 1 Lakh each under Air Act, Water Act & HWM Rules in responce to this office letter dated 11.09.10 & 17.03.11.
As approved,  reminder letter was also issued to MCD, BSES & DJB on 09.08.11 to send the compliance report for in compliance of closure direction. However, no compliance has been received so far.
	Ask the compliance from discom, DJB & MCD. Issue final reminder to M/s Matha Offset Pvt. Ltd. / premises owner for submission of bank guarantee as per earlier CMC(Orange) decision dated 13.08.2010, failing which, SDM will be asked for effective closure of the unit.
	Decision taken w.r.t. M/s Matha Offset Pvt. Ltd. be implemented. 

	5
	35523
	13.04.10
	MATHA OFFSET P. LTD
	A-141, DDA SHED, PHASE-II
	OKHLA INDUSTRIAL AREA
	 
	Offset Printing 
	(1) CTE : issued on 27.10.09 vd CNO 21638
(2) CTO: applied on 12.06.07 vd ID 21795
(3) CTO(R) : applied on 13.04.10 vd ID 33523
(4) Authorization under HWM Rules : apaplied on 07.04.10 vd ID 0079
(5) Date of Commissioning : Oct, 2007 ( In CTE File) & Jan,2005 ( In CTO file)
(6) BUA : 1200 Sq. mts
(7) Water consumption: 200 Ll/day
(8) Ground Water : Nil
(9) Waste water discharge :
(a) Domestic effluent : 100Lt/day
(b) Trade effluent: 100 Lt/day
	05.10.09
Issue CTE. Subsequently, inspection be conducted to know the present status of the unit.
21.12.09/ 22.12.09
Issue closure direction.

26.07.10
Ask the unit to submit Bank Guarantee of Rs. One Lakh each under Air Act, Water Act and HWM Rules. If unit submits, the Bank Guarantee, closure directions be revoked subject to submission of Bank Guarantee by M/s Jawa Internprises.
	(1) ETP: installed
(a) AR dated  March, 2007 issued by GGSIU submitted. 
(b) Effluent analysis report dated 22.02.10 issued by DPCC submitted ( Total 13 parametre analysied against 10 prescibed parametres. Bio-assay test not carried out).
(c) 9 number of parameters analyzed which are within limit & 1 parametre i.e Bio assay test not carried out. 
(2) ECS: N/a
(3) D.G.Set: Nil
(4) Inspection details: conducted on 05.11.09 & it was found that:
(a) M/s Jawa Enterprises/ Asia Enterprises operating at Ground Floor. M/s Jawa Enterprises was issued closure direction u/s 5 of EPA. Still the unit is in operation. Electricity connection/ Water connection is still not disconnected.
(b) Unit M/s Matha Offset is also in operation, ETP is installed.
(c) ETP not in operation, defunct. 

(5) Closure directions  u/s 31 (A), 33(A) & 5 of EPA details : issued on  04.02.10 ( earlier closure direction were issued to the unit on 25.07.07 )
The unit M/s Matha Offset Pvt. Ltd. has submitted a letter on 19.01.2011 informing that they have not carried out any activity in the premises from Dec 2010 & they will start after getting prior permission from DPCC. They have also requested to not to take any action on their plot against any pollution related matter.
No complaince received from the conserned authorities i.e MCD, DJB & BSES. The unit has not submitted BG of Rs. One Lakh each under Air Act, Water Act and HWM Rules as asked vd this office letter dated 11.09.10. Premises owner/ unit has not submitted the BG's as asked vide this office letter dated 17.03.11 . 
	Decision taken w.r.t. M/s Jawa Enterprises be implemented. Also issue SCN for refusal of consent to establish and consent to operate as the unit has represented that it is non operational. 
	Consent be refused and SDM be asked for effective closure of the unit. Also ask the compliance from discom, DJB & MCD.

	6
	 
	 
	Lamba Enterprises Pvt. Ltd
	6A
	Tilak Nagar Industrial Area
	Orange
	Servicing of bikes
	(1) CTE : dated 08.08.2008 refused on 22.02.2010
(2) CTO: dated on 25.09.2009 refused on 22.02.2010
(3) CTO(R) :NA
(4) Authorization under HWM Rules :NA
(5) Date of Commissioning : 2008
(6) BUA : 168 sqm
(7) Water consumption: 3.5 KLD
(8) Ground Water :Nil
(9) Waste water discharge :
(a) Domestic effluent : 0.4 KLD
(b) Trade effluent: 3.0 KLD
	Decision on 25.01.2010
Refused consent and issue closure directions.
	(1) ETP: Installed. 
(a) AR dated 23.07.2009.issued by DTU submitted. 
(b) Effluent analysis report dated 23.07.2009 issued by DTU submitted.
(c) 5 number of parameters analyzed which are within limit / beyoud prescribed limit. 
(2) ECS: NA
(3) D.G.Set:nil
(4) Inspection details: conducted on 20.11.2009, during the inspection following were observed:
i) ETP was found defunt and disconnected.
ii) No ETP slugde was seen at the site.
iii) One bore well exist at site.
(5) Refusal of consent details :issued on 22.02.2010
(6) Closure directions 33(A) of the Water Act details : 24.02.2010
	Ask the compliance from discom & DJB and also ask the SDM for effective closure of the unit.
	Ask the compliance from discom & DJB and also ask the SDM for effective closure of the unit.

	7
	28786
	27-01-09
	MEHANDRU AUTOMOBILES
	T-16, PHASE-II
	OKHLA INDUSTRIAL AREA
	Establish
	work shop cum service station of two wheelers
	(1) CTE : appplied on 27.01.09 vd ID 28786
(2) CTO:not applied
(3) CTO(R) : N/a
(4) Authorization under HWM Rules :
(5) Date of Commissioning : after getting NOC
(6) BUA : 150 Sq.mts
(7) Water consumption: 4000 Lt/day
(8) Ground Water : 4000 Lt/day
(9) Waste water discharge :
(a) Domestic effluent :  800 Lt/day
(b) Trade effluent:  3000 Lt/day
	07.05.2010 
 Seek compliance report from concerned authorities.
13.08.10
Re-inspection be conducted to know the operational status of the unit through pasting the letter.
07.02.11
Seek compliance report from the concerned agencies.
   02.09.11
Ask the landlord to submit an affidavit to the effect that any unit, in future,  will be established in the premises with prior approval of DPCC only. Also ask the landlord to submit the bank guarantee of Rs. 1 Lakh each under Water Act and HWM Rules valid for one year. If landlord does so, closure directions be revoked. 
	(1) ETP: …………
(a) AR dated ………….issued by ……………..submitted. 
(b) Effluent analysis report dated ………….issued by ……………..submitted.
(c) ..........number of parameters analyzed which are within limit / beyoud prescribed limit. 
(2) ECS: …………
(a) AR dated ………….issued by ……………..submitted. 
(b) Stack monitoring report dated ………….issued by ……………..submitted
(c) ..........number of parameters analyzed which are within limit / beyoud prescribed limit.  
(3) D.G.Set: ................
(a) Noise monitoring report of ............KVA dated................issued by ...........submitted and noise levels are within limit / beyond limit. 
(b) Stack monitoring report (for more than 1000 KVA) dated ............... issued by ................submitted and parameters within limit / not satisfactory. 
(4) Inspection details: conducted on 22.10.09 & followinf were oberved :
(a) The unit is in operation at the change address w.e.f  Jan, 2009.
(b) ETP sludge is being send to disposal through private parties as reported.
(c) Not applied for CTO.
(d) CTE applied vd ID 28786 dated 27.01.09
(e) No room for HW is there.
(f) ETP is non-operational.
(5) Closure directions  u/s 31(A), 33(A) & 5 of EPA details : issued on 24.02.10.
As decided by CMC dated  07.05.10, letter issued to MCD, BSES & DJB on 09.07.10.
No complaince received from concerned Authority. However letter from the unit returned back.
Inspection carried out by DPCC officials and following were observed:
1. Unit found closed and removed plant and machinery from the premises.
2. Premises is being used as a godown for wooden and no industrial activity was observed.
3. As reported, power supply of premises has been disconnected.
As decided by CMC dated 07.02.11, letters again issued to concerned authorities on 04.03.11
Reply received from the owner of the premises on 08.04.11  stating that the M/s MEHANDRU AUTOMOBILES is now left the premises  and now there is not any pollution activity carried out.
Decision of CMC dated 02.09.11 yet to be implemented
	Bank guarantee submitted by the landlord. Implement the CMC(Orange) decision dated 02.09.2011.
	Decision of CMC(Orange) dated 02.09.2011 implemented. No action warranted in this meeting. 

	8
	 
	 
	Mittal Electricals
	H-181,
Sector-5
	Bawana
 Industrial 
Area
	Orange
	Dyeing of jeans.
	1) CTE : Not applied
(2) CTO: Not applied
(3) CTO(R) : Not applied
(4) Authorization under HWM Rules :Not applied
(5) Date of Commissioning : unknown
(6) BUA : 100 Sq mt
(7) Water consumption: unknown
(8) Ground Water :No
(9) Waste water discharge :
(a) Domestic effluent :Yes, unknown
(b) Trade effluent:Yes, unknown 
	08.04.2011
Seek Comliance report from concerned agencies. 
	(1) ETP: No
(2) ECS: : No
(3) D.G.Set: N/A
(4) Inspection details: On 05.02.2010.Observation Are:
i)Unit was found in operation.
ii)unit is engaged in the activity of Mfg. of Jeans.
iii) No ETP provided to treat the trade effluent.
iv) No ECS provided with the coal fired boilers.
v) No responsible person available during inspection.
(5) SCN u/s 31(A) of EPA details :issued on 25.03.2010
(6) Closure directions  u/s 31(A) and 33 (A) issued on 12.03.2010.

Letter for seeking compliance report was issued to unit on 16.06.2011.
Report received from NDPL on 14.07.2011 stating that no industry exists at the site and the plots are vacant.
	Inspection be conducted to verify the operation status of the unit. 
	Inspection be conducted by the SEE, CMC-II along with EE, CMC-IV and report be submitted to the Member Secretary, DPCC within 07 days. This may be done without waiting for minutes. 

	9
	11577
	20.10.2010
	CITI WIRE INDUSTRIES
	1/124/36-A
	FRIENDS COLONY INDUSTRIAL AREA
	ORANGE ESTABLISH
	Super Enameling
	(1) CTE :27.05.2008.
(2) CTO: 02.06.2002, 01.08.2005, Not Applied.
(3) CTO(R) : Not Applied
(4) Authorization under HWM Rules : 11.05.2006, Authorisation with fee not applied.
(5) Date of Commissioning :2002. 
(6) BUA : 60 Sq.m.
(7) Water consumption: 200 L/Day.
(8) Ground Water :Nil
(9) Waste water discharge :
(a) Domestic effluent : 50 LPD
(b) Trade effluent: Nil
	16.02.2009
Show cause notice to be issued to the unit.

17.06.2009
Time allowed. Call on 19.08.2009.

	(1) ETP: Not applicable. 
(2) ECS: Not provided. 
(3) D.G.Set: 125 KVA.
(a) Noise monitoring report of Not submitted. 
(b) Stack monitoring report (for more than 1000 KVA) : Not applicable.  
(4) Inspection details: 09.10.2010: ECS not installed. D.G Set w/o A/E.
(5) SCN u/s 31(A) details : Issued on 25.03.2009 
(6) Closure directions  u/s 31(A) details :   17.03.2010.
Consent refused on 25.03.2009.

                                                                                                                                 
	Ask the compliance from discom  & DJB and also ask the SDM for effective closure of the unit in view of the super enamelling activity. 
	Ask the compliance from discom  & DJB and also ask the SDM for effective closure of the unit.

	10
	 
	 
	BHARTIYAM VILLAGE FARM HOUSE
	PALLA BAKHTAWAR ROAD
	DELHI
	 
	Party lawn for marriages and other social functions.
	(1) CTE : (R) Vide R.No. 2090, refused on 09.03.2011.
(2) CTO: Not Applied
(3) CTO : Not Applied
(4) Authorization under HWM Rules :
(5) Date of Commissioning : 2010
(6) BUA : 250 sq mtrs
(7) Water consumption: 3.2 kilo ltr/day
(8) Ground Water : Nil
(9) Waste water discharge :
(a) Domestic effluent : 0.1 kilo ltrs/day
(b) Trade effluent: 3.0 kilo ltr/day
	15.02.2010
Case be considered after implementation of decision of scrutinizing committee (Issue directions u/s 31 (A) of the Air Act and u/s 33 (A) of the water Act with emergency clause for closure of the unit, cancellation of MCD permission, disconnection of electricity/ water supply to the unit and to SDM for taking necessary action for effective closure of the unit and operation of D.G. Set).

20.05.2010
In view of letter and CTE applied on 26.05.10, ask the unit to submit bank guarantee of Rs. 1 Lakh each under Air Act and Water Act valid for one eyar. If the unit submits the B.G, closure directions be revoked and issue consent to establish. Also ask the unit to submit adequacy report and effluent analysis report of ETP from approved agency of DPCC within 15 days, failing which inspectrion be conducted. 
30.07.2010
Issue SCN for refusal of consent.
	(1) Inspection details: Inspection of the unit was conducted on 12.01.2010.
Observations:
1. Premises is having one lawns, one building having four 
rooms at Ground Floor & First Floor, one hall at basement. 2. No ETP installed in the premises. 3. Unit has made 5 pits (1 parking, 2 front lawn, 2 back lawn) for discharge of rain water in the ground water fitted with 4 inch pipe.
4. One collection tank is made near banquet hall for collection 
and discharge of waste water generated from kitchen in the ground water. 5. D.G Set found installed with acoustic enclosure. 6. As informed unit has started its operation about one year back.
(2) Closure directions  u/s 31(A)/33(A)/5 of EPA details : 17.03.2010.
Reply has been received on 30.03.2010 requesting for 60 days
 time to install the desired ETP and stating that they will not 
use this facility untill the installation of said ETP.
Reply has been received on 26.05.2010 alongwith an affidavit 
informing taht the application for CTE has been submitted 
(Id.No.33993 dated 26.05.2010) and the ETP has been installed,
 fees for the adequecy and test report has been submitted in G.G.S.I.P.U.
 Further, requested to revike the closure direction and issue CTE.
As per the decision taken up CMC(O) dated 26.05.2010, letter was sent on
 08.08.2010 regarding submission of Bank guarantee oof Rs. 1 lakh each 
under Air and Water Act, alongwith adequecy reportanf effluent 
analysis report of ETP.
Reply has been received on 05.07.2010 stating that the effluent 
treatment plant has been installed.
As per the decision taken up in CMC (O) dated 30.07.2010 SCN 
for refusal of consent was sent on 14.09.2010.
Reply has not been received.
	Ask the compliance from discom  & DJB and also ask the SDM for effective closure of the unit. Inspection may also be conducted as per decision taken on file. 
	Ask the compliance from discom  & DJB and MCD for cancellation of permission and also ask the SDM for effective closure of the unit. 
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	21728
	07.06.2007
	DHANJAL INDUSTRIES
	PLOT NO-20, POCKET-B, SECTOR-3, DSIDC
	BAWANA INDUSTRIAL AREA
	Orange
	Engg works with buffing
	(1) CTE : issued to the unit on 19.11.2009.
(2) CTO: Not applied
(3) CTO(R) :Not Applied
(4) Authorization under HWM Rules :N/A
(5) Date of Commissioning : August 2007
(6) BUA : 90 Sq mt
(7) Water consumption:500 lpd
(8) Ground Water :500 lpd
(9) Waste water discharge :
(a) Domestic effluent : 300lpd
(b) Trade effluent:nil
	 05.10.2009
Issue Consent to Establish. Subsequently, inspection be conducted.
12.02.2010/15.02.2010
Issue closure directions.
08.04.2011
Seek compliance report from concerned agencies. 
	(1) ETP: N/A
(2) ECS:  no
(3) D.G.Set: nil
(4) Inspection details: Inspection conducted on 19.11.2009. 
i. The unit was found in operation and is enagaged in Engg works with buffing.
ii. Two exhaust fans are installed at the premises.
iii. Buffing activity is also observed at the premises.No hood and suction device was installed over the buffing machines. As informed,they will stop the buffing activity within 8 months.
iv.One borewell exists.
v. No DG set found.

(5) SCN u/s 31(A):Nil 
(6) Closure directions  u/s 31(A)    : Issued to the unit on 25.03.2010                                               
                                                     Reply received on 27.04.2010 along with the photographs of absence of buffing activity.
                                                     Reply again received on 12.01.2011 with a copy of draft to GGSIPU for adequacy report.
Letter for seeking of compliance report send to concerned agency on 16.06.2011.
	Ask the compliance from discom  & DJB and also ask the SDM for effective closure of the unit.
	Ask the compliance from discom  & DJB and also ask the SDM for effective closure of the unit.
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	_
	_
	VIKRAM FARM
	M.G. Road, Sultanpur, Near Metro Station. New Delhi-30
	NC-S
	_
	Party lawn with banquet hall facility (farm house)
	 
	      12.02.2010 / 15.02.2010
Issue directions u/s 31(A) of the Air Act and u/s 33(A) of the Water Act with emergency clause for closure of the unit, cancellation of MCD permission, disconnection of electricity / water supply to the unit and to SDM for taking necessary action for effective closure of the unit and operation of D.G. Set. 
                             16.06.10
Random inspection be conducted and the local enquiry be also carried out. 
                       07.02.11 
Confirm from the MCD whether the premises is being used for commercial use and also the status of the licenses issued to the unit for premitting the unit for commercial use. 
	(1) ETP: No installed( as per inspection report)
(2) ECS: No data available
(3) D.G.Set: .No data available
(4) Inspection details: A public complaint was received in this office against party lawns/restaurants operating at M.G Road.
Subsequently inspection of the unit was carried out by DPCC officials on 03.02.10 and following observations were made:
1. Waste food is disposed off M.C. D dust bin.
2. Liquid waste in a pit.
3. 2 no.s of bore well water exists for use having 5 H.P. capacity of motor each.
4. Kitchen waste water seen into the open drain in front of the unit.
5. Domestic effluent and trade effluent was being discharged into drain.
6. No Sewage Treatement Plant (STP) was installed by the unit, only storage tank was made.
7. D.G sets are also taken on rent which without acoustic enclosure and inadequae stack height. 
(5) SCN u/s 31(A) & 33(A) details : not issued direct directions issued
(6) Closure directions  u/s 31(A) & 33(A) details : As per the CMC dated 12.02.2010 / 15.02.2010, Directions issued to the unit on 07.04.10.Subsequently the reply of the unit was received on 21.04.10 stating that the firm is not used for any commercial activity and for any activities that are detrimental and requested for revokation of closure directions. As per the decision of CMC in its meeting held on 16.06.10, inspection of the unit was carried out by the DPCC officials on 13.12.10 and follwoing observations were made:
1. During the inspection no function was observed in the premises.
2. Electricity connection has been disconnected by BSES which was for domestic purpose.
3. As reported only family functions are oragnised in the premises which was confirmed by the chaukidar of adjacent farm house i.e. Bansal Farm House. 

As decided by CMC dated 07.02.11, letter issued to MCD on 29.03.11
No complaince received from the unit as well as conserned authorities i.e MCD, DJB & BSES.
	Issue reminder to MCD in compliance of earlier CMC(Orange) decision dated 07.02.2011.
	Issue reminder to MCD in compliance of earlier CMC(Orange) decision dated 07.02.2011.
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	A. S. Concept
	75, WHS, Furniture Block
	Kirti Nagar Industrial Area
	orange
	Glass processing
	Not applied
	 
	(1) ETP: Not installed 
(2) ECS: Not installed 
(3) D.G.Set: nil
(4) Inspection details:conducted on 21.10.2009, during the inspection air and water pollution observed by the machineries and no emission control system and ETP was found installed.
(5) SCN u/s 31(A) & 33(A) issued on 14.12.2009.
(6) Closure directions  u/s 31(A) & u/s 31(A) issued on 13.04.2010
No compliance ahs been received from NDPL & DJB.
	Ask the compliance from discom & DJB and also ask the SDM for effective closure of the unit.
	Ask the compliance from discom & DJB and also ask the SDM for effective closure of the unit.
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	Maharoof Glass
	75, WHS, Furniture Block
	Kirti Nagar Industrial Area
	orange
	Glass processing
	Not applied
	 
	(1) ETP: Not installed 
(2) ECS: Not installed 
(3) D.G.Set: nil
(4) Inspection details:conducted on 20.10.2009, during the inspection following were observed:
i) unit engaged in the activity of glass processing works.
ii) No air pollution control system has been provied at the premises.
iii) No license shown.
iv) work of the unit was going on outside the premises.
(5) SCN u/s 31(A) & 33(A) issued on 14.12.2009.
(6) Closure directions  u/s 31(A) issued on 13.04.2010
Unit submitted its reply on 22.04.2010 and stated that unit has been closed the said address.
Compliance received from NDPL stated that there is no connection and industry existing at site against M/s Maharoof Glass. 
	Inspection be conducted. 
	Inspection be conducted. 
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	21915
	20-06-2007
	AAR GEE POWER CONTROL
	PLOT NO-54, POCKET-J, SECTOR-2, DSIDC
	Bawana
 Industrial 
Area
	Orange
	Mfg of electrical & electronic power control panels (powder coating 
	(1) CTE : Granted on 19.11.2009. Applied again on 14.05.2010
(2) CTO:Not Applied
(3) CTO(R) :Not Applied
(4) Authorization under HWM Rules :No
(5) Date of Commissioning : Aug 2010
(6) BUA : 200 Sq mt
(7) Water consumption: :1100 lpd
(8) Ground Water :yes
(9) Waste water discharge :
(a) Domestic effluent : 50lpd
(b) Trade effluent::800 lpd
	05.10.2009
Issue Consent to Establish without phosphating. Subsequently, inspection be conducted.
12.02.2010
File be put up administratively with the provisions of the MPD-2021.
26.07.2010
Ask the unit to submit Bank Guarantee of Rs. 1 Lakh each under Air Act, Water Act and HWM Rules valid for one year. If, unit submits the Bank Guarantee, closure directions be revoked and consent to establish be issued.
	(1) ETP: no
(2) ECS: yes
(a) AR :No
(b) Stack monitoring report  :No
(c)number of parameters analyzed which are within limit / beyoud prescribed limit :N/A
(3) D.G.Set: 15 kva
(a) Noise monitoring report :Not submitted
(4) Inspection details:Inspection conducted on 30.11.2009:
Unit found engaged in mfg of electrical & electronic power control panels.
Powder coating activity is being carried out at 2nd floor. Cyclone found installed, but not in operation.
Phosphating is carried out. No ETP installed.
One DG set of 15 KVA installed without acoustic enclosre & inadequate stack ht.
One borewell exists at site.
 (5) SCN u/s 31(A)/33(A)/5 of EPA details :no 
                                                               Revocation of consent issued to the unit on 26.04.2010
                                                               No reply  received.
(6) Closure directions  u/s 31(A) and 33(A)  : Issued to the unit on 26.04.2010
                               Reply received from NDPL. No reply received other agencies till date.
	Ask the compliance from discom  & DJB and also ask the SDM for effective closure of the unit.
	Ask the compliance from discom  & DJB and also ask the SDM for effective closure of the unit.
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	6226
	23-05-2008
	RAMA METAL INDUSTRIES
	B-65, DSIDC
	JHILMIL INDUSTRIAL AREA
	GREEN / ESTABLISH
	Mfg. of sanitory bath fitting 
	
(1) CTE : 23.05.2008 (Refused)
(2) CTO: No
(3) CTO(R) :No
(4) Authorization under HWM Rules :NA
(5) Date of Commissioning : 2003.
(6) BUA : 48 Sqm
(7) Water consumption: 100 LPD
(8) Ground Water :100 LPD
(9) Waste water discharge :
(a) Domestic effluent : 80 L
(b) Trade effluent: NIL.
	30.03.2010:Closure order be issued. Enquiry Counter be intimated regarding refusal of the consent already issued.
	(1) ETP:NA
(2) ECS: No
(3) D.G.Set: NIL..
(4) Inspection details:12.087.2009: Buffing activity observed. Brass dust generated during grinding process not found stored properly and found scattered.
(5) SCN u/s 31(A) details :25.02.2010. SCN for refusal on 11.12.2009.
(6) Closure directions  u/s 31(A) details :  07.05.2010. Reply recieved on 19.05.2010.Unit owner replied that Rama Metal has  vacated the premises & M/s S.K.Electrical is operating.
                                                                                                                                        
	Ask the compliance from discom  & DJB regarding the disconnection of power and water supply to M/s Rama Metal Industries and also ask the unit to submit the documentary proof of closure of the unit e.g. surendering its MCD license / Sale Tax Registration etc. 
	Inspection be conducted. 
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	7423
	01-05-2009
	AMIT CABLE
	429/8A, GALI NO 1
	FRIENDS COLONY INDUSTRIAL AREA
	ORANGE ESTABLISH
	PVC Wire and Cables
	(1) CTE :01.05.2009.
(2) CTO:Not Applied
(3) CTO(R) :Not Applied
(4) Authorization under HWM Rules :
(5) Date of Commissioning : 2009.
(6) BUA : 149 sqm
(7) Water consumption: 220 KLD
(8) Ground Water :NIL
(9) Waste water discharge :
(a) Domestic effluent : 150 KLD
(b) Trade effluent: Nil

	17.06.09
Ask the unit to file full compliance by 30.06.2009. Issue letter without waiting for minutes. Call on 19.08.2009
07.05.2010Confirm closure directions.
	(1) ETP:Not applicable. 
(2) ECS: Chanelization not provided
(3) D.G.Set: .NIL.
(a) Noise monitoring report : Nil 
(b) Stack monitoring report (for more than 1000 KVA) : Not applicable.  
(4) Inspection details: inspected on 12.02.2009. Unit should install proper chanelization and suction device.
(5) SCN u/s 31(A) details :16.04.2009.
(6) Closure directions  u/s 31(A) details :  05.06.2010.                                                                                                                                         
	Compliance from BSES recevied stating that M/s Amit Cable has not been found at the said address and owner of the premises has requested for revocation of closure directions. Ask the landlord to submit a bank guarantee of Rs. One Lakh valid for one year to the effect that no industrial unit without the prior consent of DPCC will be allowed in the premises. 
	EE, CMC-IV would accompany the BSES to ensure the disconnection of the unit and submit a report to MS, DPCC. 
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	6921
	03-11-2008
	G.S. METALS (INDIA)
	PLOT NO 458-466, SHAMBHUNATH COMPOUND, GALI NO-8
	FRIENDS COLONY INDUSTRIAL AREA
	ORANGE ESTABLISH & OPERATE.
	Copper Wire Drawing
	(1) CTE : Applied on 03.11.2008.Refused on 09.06.2010.
(2) CTO: valid upto 22.08.2007.
(3) CTO(R) : Applied on 21.08.2007.
(4) Authorization under HWM Rules :
(5) Date of Commissioning : 2002
(6) BUA : 130 sq yd
(7) Water consumption: 50 lit/day
(8) Ground Water :Nil
(9) Waste water discharge :
(a) Domestic effluent : 20 lit/day
(b) Trade effluent: Nil.
	16.02.09
Issue SCN under Water Act, 1974
17.06.09
Paste the letter on the premises. Call on 19.08.2009
07.05.2010: Consent refused and confirm closure directions.
	(1) ETP: Not applicable. 
(2) ECS: Chanelization provided.
(3) D.G.Set: Nil 
(a) Noise monitoring report of : Not applicable.  
(b) Stack monitoring report (for more than 1000 KVA): Not applicable. 
(4) Inspection details: 12.04.2010: Pickling found Closed & pit removed. No D.G Set.
(5) SCN u/s 33(A) details :24.04.2009.
(6) Closure directions  u/s 31(A) & 33 (A) details :  09.06.2010.                                                                                                                                        
	Closure direction to the unit was issued for not submitting the reply of the SCN. Later on, reply of the unit was traced in the record and also an inspection was conducted during which unit was not found polluting. Ask the unit to submit bank guarantee of Rs. One Lakh under Air Act valid for one year. If unit submits the bank guarantee, closure directions be revoked with  a direction to apply for consent to operate and fresh authorization under HWM Rules within 30 days. 
	Closure directions be revoked with a direction to apply for consent to operate and fresh authorization under HWM Rules within 30 days. 
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	7431
	15.06.2010
	K.M UDYOG
	PLOT NO 1/536/B-9, GALI NO 5
	FRIENDS COLONY INDUSTRIAL AREA
	ORANGE/ ESTABLISH
	Mfg. of sanitory bath fitting 
	(1) CTE : Applied,16.04.2009.
(2) CTO:applied 11.04.2011.
(3) CTO(R) :Not applied.
(4) Authorization under HWM Rules :NA
(5) Date of Commissioning : Oct 2008.
(6) BUA : 38 Sqm.
(7) Water consumption: 200LPD
(8) Ground Water :NIIL
(9) Waste water discharge :
(a) Domestic effluent : 150 LPD
(b) Trade effluent: NIL
	07.05.2010.: confirm closure direction.
	(1) ETP: NA
(2) ECS: Bag house
(a) AR dated  Feb, 2011 issued by GGSIPU submitted. 
(b) Stack monitoring report dated 14.02.2011issued by GGSIPU submitted
(c) One number of parameters analyzed which are within limit 
(3) D.G.Set: NIL.
(4) Inspection details:09.02.2009.: No ECS found on buffing.
(5) SCN u/s 31(A) details :25.03.2009.
(6) Closure directions  u/s 31(A)/33(A)/5 of EPA details :   15.06.2010. Reply recieved that ECS installed.     
	Implement the earlie CMC(Orange) decision dated 07.09.2011as follows : Ask the unit to submit bank guarantee of Rs. One Lakh under Air Act valid for one year. If unit submits the bank guarantee, closure directions be revoked and consent to operate be issued. Subsequently, inspection be conducted. In addition to the above decision, ask the discom and DJB to submit the compliance report. 
	Time allowed for 15 days for submission of bank guarantee of Rs. One Lakh under Air Act valid for one year. If unit submits the bank guarantee, closure directions be revoked and consent to operate be issued, failing which, discom and DJB be directed to disconnect electricity / water supply.
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	7460
	04-05-2010
	STEPHY INDUSTRIES
	PLOT NO 7, GALI NO 4
	FRIENDS COLONY INDUSTRIAL AREA
	ORANGE / OPERATE
	Mfg of Kitchen Wares with Buffing 
	(1) CTE :21.05.2009.
(2) CTO:04.05.2010.
(3) CTO(R) :
(4) Authorization under HWM Rules :NA
(5) Date of Commissioning : Jan 2009.
(6) BUA : 125 sq mt.
(7) Water consumption: 100 Lt/Day
(8) Ground Water :Nil
(9) Waste water discharge :
(a) Domestic effluent : 50 Lt/day
(b) Trade effluent: Nil
	26.07.2010: Ask the unit to submit the Bank Guarantee of Rs.100000/-under Air Act valid for one year.
	(1) ETP: Not applicable
(2) ECS: Bag house
(a) AR dated …March 2010 issued by GGSIPU submitted. 
(b) Stack monitoring report dated …16.03.2010……….issued by ……GGSIPU………..submitted
(c) One number of parameters analyzed which are within limit / beyoud prescribed limit.  
(3) D.G.Set: NIL.
(4) Inspection details:11.02.2009: Buffing activity was found w/o ECS.
(5) SCN u/s 31(A) details :24.07.2009.
(6) Closure directions  u/s 31(A) details :  16.06.2010.     
(7) The unit has submitted a BG of Rs.100000/- under Air Act on 12.10.2010, as per last CMC decision dated 26.07.2010.
	Closure directios be revoked in view of submission of the requisition of bank guarantee. 
	Closure directios be revoked in view of submission of the requisite bank guarantee. 
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	OM DRISHIAN INTERNATIONAL LTD
	PLOT NO 58, 
	SSI IND AREA
	ESTABLISH
	S.S. Circle cutting & S.S. Utensils (without buffing & polishing)
	(1) CTE :(Y) Green C.NO.18625. issued on 01.07.2008 valid upto 30.06.2009.
(2) CTO(R) : Green refusal No 2010.
(3) Date of Commissioning : 2008
(4) BUA : 1021.92 Sq.mtr
(5) Water consumption: 300 ltr/day
(6) Ground Water : NIL
(7) Waste water discharge :
(a) Domestic effluent : 100 ltr/day
(b) Trade effluent: NIL
	06.05.2010
File be put up Administratively.
	(1) Inspection details: Inspection of the unit was conducted on 08.01.2010.
Observations:
1. The plot number SSI 58 is divided into two parts M/s Om Drishan is
 located right side of the plot.
2. M/s Om Drishan was found engaged in S.S. circle cutting
 and utensils manufacturing without buffing at groung floor.
3. Manufacturing activity has not found operational during
 inspection but office was found open.
4. Acoustic enclosure and proper stack height need to be
 provided with D.G. Set .
(2) SCN u/s 31(A)/33(A) details : Issued on 03.03.2010.
Reply has not been received.
(3) Closure directions  u/s 31(A)/33(A) details : Issued on 02.07.2010.
Reply has not been received.
	Ask the compliance from discom & DJB and ask the unit to confirm on an affidavit that it is non operational in compliance of closure directions failing which, SDM will be asked for the effective closure of the unit. 
	Ask the compliance from discom & DJB and ask the unit to confirm on an affidavit that it is non operational in compliance of closure directions failing which, SDM will be asked for the effective closure of the unit. 
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	_
	_
	FANCY DYERS
	A-228, PHASE-I
	OKHLA INDUSTRIAL AREA
	_
	Job work of Dyeing & washing of garments/  cloth (fabric) 
	(1) CTE : not applied 
(2) CTO: not applied 
(3) CTO(R) : not applied
(4) Authorization under HWM Rules : not applied
(5) Date of Commissioning : -
(6) BUA : -
(7) Water consumption: -
(8) Ground Water :-
(9) Waste water discharge :
(a) Domestic effluent :- 
(b) Trade effluent: -
	07.05.10 
Issue closure directions.
Issue SCN 21/22 of the Air Act and u/s 25/26 of the Water Act to M/s Deepak Metal. 
13.08.10
Seek compliance report from concerned authorities
	(1) ETP: Not installed. 
(2) ECS: Not applicable. 
(3) D.G.Set: Nil
(4) Inspection details: conducted on 13.01.10 & following were observed:
(a) The unit was found in operation in one part of the premises no A-228, OIA, Ph-I.
(b) Part of the premises ( appox 2/3) is being used by the unit for thread cutting (light engineering work) by the unit operating at A-229, OIA, Ph-I.
(c) No ETP has been install to treat the trade effluent generated from the process.
As approved, SCN u/s 21/22 of Air Act & 25/26 of Water Act issued on 05.07.10 to M/s Deepak Metal, A-229, OIA, Ph-I. No reply received from the unit.
(5)Closure directions  u/s 31(A)/33(A)/5 of EPA details : issued on 05.07.10.
closure direction returned back undelivered.. Hence, direction hand delivered & inspectionwas conducted on 20.08.10 & following were observed:
(a) The unit was found in operation.
(b) Closure directions has been delivered by hand to Sh. Kadir Khan, Proprietor of the unit.
(c) No ETP has been installed.
(d) The unit is being operated in open space of the plot (approximately 1/3).
(e) Electricity and water is being taken by the unit from near by jhuggis.
Trade effluent is being discharged in a pit in the plot without any treatment.  
Letter for seeking complaince were sent to the concerned authoriies on 06.09.10
As approved by CMC in its meeting on 13.08.10, again letters for seeking complaince were issued on 29.09.10.  
	Ask the compliance from discom, DJB & MCD and also ask the SDM for effective closure of the unit.
	Ask the compliance from discom, DJB & MCD and also ask the SDM for effective closure of the unit.
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	Footwear (Klick) India Pvt. Ltd., LANCER
	D-3
	 Udyog Nagar Industrial Area
	Orange
	Mfg. of footwear.
	(1) CTE :Issued valid upto 24.09.2003 vide consent order no. 1586.
(2) CTO:Issued valid upto 20.02.2009 vide consent order no 16490
(3) CTO(R) :Applied on 27.04.2009 vide ID no. 29686
(4) Authorization under HWM Rules :Applied on 07.09.2011 vide ID no. 0925 (Fresh)
(5) Date of Commissioning : 2006
(6) BUA : 800 sqm
(7) Water consumption: 1.5 KLD
(8) Ground Water :Nil
(9) Waste water discharge :
(a) Domestic effluent : 0.8 KLD
(b) Trade effluent: Nil
	 
	(1) ETP:N/A
(2) ECS: No
(3) D.G.Set:125 KVA (According to the inspection)
(4) Inspection details:Conducted on 02.08.2011, during the inspection following were observed : 
i) Channelization system is not installed to control fumes from the process.
ii) One DG set of 125 KVA found installed without acoustic enclousre and inadequate stack height.
iii) Unit generating Hazardous waste from printing ink and do not follow any HWM Rules.
(5) SCN u/s 31(A) & /5 of EPA details :28.06.2011 
(6) Closure directions  u/s 31(A)/5 of EPA details :17.08.2011
Unit submitted its reply along with an affdavit, application for authrization under HWM Rules and unit confirm on an affidavit that adequate channelization system has been provided.

A letter has been issued to the unit on 19.09.2011 for the submission of doccumentry proof i.e. photographs of stack and DG set & for B.G of Rs. One Lakh each Air Act and HWM Rules.
	Follow up the further action on file. 
	Closure directions revoked. No action warranted in this meeting. 
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	21328
	15.05.2007
	KRISHNA PIPE 
INDUSTRIES
	G-101,
SECTOR-1,
DSIDC
	Bawana
 Industrial 
Area
	Orange
	Mfg of conduit
 pipe
	1) CTE :valid upto 18.11.2010
(2) CTO: Not applied
(3) CTO(R) : Not applied
(4) Authorization under HWM Rules :N/A
(5) Date of Commissioning : 15.06.2007
(6) BUA : 200 Sq mt
(7) Water consumption: 250 lpd
(8) Ground Water :No
(9) Waste water discharge :
(a) Domestic effluent : 150 lpd
(b) Trade effluent:Nil 
	05.10.2009
Issue consent to establish 
without use of plastic scrap.
Subsequently, inspection
 be conducted to ascertain the raw material.
12.02.2010/15.02.2010
Issue SCN u/s 31(A) of Air Act for not providing suction and channelization system. Also ask the unit to apply for consent to operate. 
31.03.2011
File be put administratively.
File was put up  administratively and was decided to confirm closure direction.
	(1) ETP: N/A
(2) ECS: : N/A
(3) D.G.Set:: N/A
(4) Inspection details: On 02.02.2010.Observation Are:
i)Unit was found in operation in mfg. of conduit pipe.
ii)1 grinder and 2 mixer machine were fond and no mhood sction mdevice were installed.
iii) Scraps & PVC resin are mixed together to make pipes.
iv) 1 borewell exists exists, no information regarding DJB permission.
(5) SCN u/s 31(A) of EPA details :issued on 25.03.2010
(6) Closure directions  u/s 31(A)of EPA details :issued on 23.08.2011.
                                                                    Reply received on 06.09.2011
Compliance received from SDM Narela on 06.09.2011
Reply along with affidavit received from the unit requesting to revoke the directions as unit has closed down about three months ago due to separation of partner and eager to establish new unit with prior permission from DPCC. 
	Ask the compliance from discom  & DJB. Ask the unit to submit bank guarantee of Rs. One Lakh under Air Act valid for one year. If unit submits the bank guarantee, closure directions be revoked. 
	Ask the unit to apply for consent to establish for the new proposed activity.
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	21058
	18-04-2007
	DAIJEX AUTO INDUSTRIES
	191, SECTOR-2, POCKET-O, DSIDC
	Bawana
 Industrial 
Area
	Orange
	Mfg of auto parts and accessories
	(1) CTE :21058 ID (orange)  applied on 18.04.2007, 29258 ID (Green) Valid upto 23.04.2010
(2) CTO: Not Applied
(3) CTO(R) :Not Applied
(4) Authorization under HWM Rules : Proposed unit
(5) Date of Commissioning : October 2007
(6) BUA : 120 Sq mt
(7) Water consumption: 800 lpd
(8) Ground Water : Yes
(9) Waste water discharge :
(a) Domestic effluent : 200 lpd
(b) Trade effluent: Nil
	Decision on 09.09.2009
Case be considered after implementation of decision of Scrutinizing Committee.i.e. inspection to resolve the issue.
12.02.2010/15.02.2010
Issue SCN for Closure
31.03.2011
File be put administratively.
File was put up administratively and it was decided to Confirm the closure direction.
	(1) ETP: Proposed Unit
(2) ECS: Proposed Unit
(3) D.G.Set: nil
(4) Inspection details: conducted on 12.11.2009
i) Unit found engaged in mfg. of auto parts and accessories with buffing and painting. 
ii) Three buffing machines installed without ECS. 
iii) A Separate room is provided for spray painting, no channelization provided.
iv) One dismental DG. Set lying at site.
v) One borewell exist at site.
(5) SCN u/s 31(A) : Issued on 25.03.2011
                            Reply received on 05.04.2010
(6) Closure directions  u/s 31(A) : Issued on 29.08.2011
                                                 No reply received till date.
Unit has submitted its reply along with affidavit on 20.09.2011 stating that ECS has been installed and facility of spray paitning and D.G. Set have  been removed. 
	Ask the compliance from discom, DJB and SDM. 
	Ask the compliance from discom, DJB and SDM. 
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	COLOUR APPARELS
	C-46/1
	LAWRENCE ROAD INDUSTRIAL AREA
	 
	Dyeing of jeans.
	 
	 
	(1) Inspection details: Inspection of the unit was conducted on 11.05.2010.
Observations:
1. Unit found in opertion.
2. unit is enaged in dyeing of jeans.
3. No ETP installed to treat the trade effluents generating fron dyeing of jeans.
(2) SCN u/s 31(A)/33(A) details : Issued on 30.60.2010.
Reply has not been received.
(3) Closure directions  u/s 31(A)/33(A)/5 of EPA details : Issued on 06.09.2010.
Reply has not been received.
	Ask the compliance from discom  & DJB and also ask the SDM for effective closure of the unit.
	Ask the compliance from discom  & DJB and also ask the SDM for effective closure of the unit.
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	35275
	01.10.2010
	RAHUL POLYMER
	T-2/218, (F.F. AND F.F.), PHASE-I
	MANGOLPURI INDL AREA
	ESTABLISH
	mgf. of plastic compound (granules), Beads & Master Batch.
	(1) CTE : (P) Vide ID No. 25275, applied on 01.10.2010
(2) CTO: Not Applied
(3) CTO(R) : Not Applied
(4) Authorization under HWM Rules :
(5) Date of Commissioning : 15.12.2009
(6) BUA : 200 sq mtrs
(7) Water consumption: 0.3 kl/day 
(8) Ground Water : Nil
(9) Waste water discharge :
(a) Domestic effluent : 0.25 kl/day
(b) Trade effluent: Nil
	17.06.2011
Inspection be conducted.
	(1) ETP: N/A
(2) ECS: N/A
(3) D.G.Set: NIL
(4) Inspection details: Inspection of the unit was conducted on 08.07.2010.
Observations:
1. Unit is enaged in activity of Mfg. of Palstic dana using kneader 
machine and is operating without any consent.
2. No ECS installed over kneader/moulding machine.
(5) SCN u/s 31(A) details : issued on 16.08.2010.
Reply has not been received.
(6) Closure directions  u/s 31(A)/33(A)/5 of EPA details : Issued on 15.09.2010.
Reply has not been received.
Unit is again inspected on 22.09.2011 as per decision of CMC(Orange) dated 17.06.2011 and it was found that M/s Rahul POlymer has been closed and shifted and premises is being used for packaging of cables.
	Ask the compliance from discom  & DJB. Issue SCN u/s 21/22 of the Air Act and u/s 25/26 of the Water Act  to the new unit found during inspection for operating without consent.
	Consent to establish be refused to M/s Rahul Polymer. Ask the compliance from discom  & DJB. Issue SCN u/s 21/22 of the Air Act and u/s 25/26 of the Water Act  to the new unit found during inspection for operating without consent.
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	31277
	31.08.2009
	SHIVA PLASTIC INDUSTRIES
	POCKET-O, PLOT NO-147, SECTOR-1, DSIDC COMPLEX
	Bawana
 Industrial 
Area
	Orange
	LDP (food grade Plastic)
	(1) CTE : valid upto 09.11.2007 
(2) CTO:Applied on 31.08.2009
(3) CTO(R) :Not Applied
(4) Authorization under HWM Rules : Applied on 13.01.2009 (I.Do 4882)
(5) Date of Commissioning : Jan 2007
(6) BUA :160 Sq mt
(7) Water consumption: 120 lpd
(8) Ground Water : no
(9) Waste water discharge :
(a) Domestic effluent : 100 lpd
(b) Trade effluent: nil
	09.09.2009
Inspection be conducted
13.11.2009
Reinspection with prior notice.
12.02.2010/15.02.2010
Issue SCN for closure.
19.08.2010
Reply of unit is not related to SCN,therefore SCN remain unanswered.Consent refused and issue closure directions.
08.04.2011
File be put up administrativley.
File was put administratively and it was decided to confirm the closure direction.
	(1) ETP: N/A
(2) ECS: No 
(3) D.G.Set: 82.5 KVA
(a) Noise monitoring report :dated15.06.2009 issued by DCE submitted and noise levels are within limit 
(4) Inspection details: Inspection Carried out on 02.02.2010 and descriepancies were observed.  
(5) SCN u/s 31(A AND 33(A) :       SCN issued to unit on 22.03.2010. 
                                                  Reply received from the unit on 04.06.2010.
                                                  Refusal Of consent issued to unit on 29.09.2010. 
(6) Closure directions  u/s 31(A)  : Issued to unit on 29.09.2010. 
                                                  Reply received from the unit on 08.10.2010
   Again reply along with photographs and submission of annual return of hazardous waste received on 
  19.10.2010.    
   Letters for Seeking of compliance from various agencies were sent on 27.07.2011    
   Reply was received from NDPL on 10.08.2011
   Letter was sent again to NDPL for seeking of compliance on 02.09.2011.
   No compliance received.
	Ask the compliance from discom  & DJB.
	Ask the compliance from discom  & DJB and ask the unit to confirm on an affidavit that it is non operational in compliance of closure directions failing which, SDM will be asked for the effective closure of the unit. 
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	10912
	11-01-2010
	A.S. TRADERS
	355-A/1, OLD PLOT NO 45, KH. NO 336/313, GALI NO 6
	FRIENDS COLONY INDUSTRIAL AREA
	ORANGE OPERATE
	Mfg. of Auto Parts with die casting
	(1) CTE :Applied on 12.012.2006.
(2) CTO:Refused on 09.06.2010.
(3) CTO(R) :Nil
(4) Authorization under HWM Rules :NA
(5) Date of Commissioning : Jan, 2008
(6) BUA : 173 sqm
(7) Water consumption: 150 Llt/day
(8) Ground Water :Nil
(9) Waste water discharge :
(a) Domestic effluent : 50 ltr/day
(b) Trade effluent: Nil
	16.02.2009
Letter for CTE to issued.

17.06.2009
File be submitted administratively.
23.03.2010
Issue refusal of consent to establish. Issue SCN u/s 31(A) of the Air Act for closure of the unit.                 
	(1) ETP: NA
a) AR : Not applicable.  
(b) Effluent analysis report : Not applicable. 
(c) Number of parameters analyzed : Not applicable.  
(2) ECS: Channelization provided. 
(a) AR : Not applicable.  
(b) Stack monitoring report dated 13.11.2009 issued by DPCC submitted
(c) Two number of parameters analyzed which are within limit.
(3) D.G.Set: .62 KVA without acoustic enclosure. 
(a) Noise monitoring report not submitted.
(b) Stack monitoring report (for more than 1000 KVA) : Not applicable.  
(4) Inspection details:Carried out on 09.02.2009.
(5) SCN u/s 31(A) :Issued on 22.04.2010.
Unit was asked to submit the bank guarantee of Rs One Lakh under Air Act vide letter dated 21.10.2009. Reply received on 08.11.2009 stating that they are not  able to submit BG due to financial condition. DG Set is out of order and in defunct condition. Stack height has been raised and the fees for monitoring report has been submitted.
(6) Closure directions  u/s 31(A)details :Issued on 04.10.2010. Reply recieved on 08.10.2010 and (B.G submitted on 20.10.2010) that 
compliance has been done. Requested 
for refund of B.G.

	The bank guarantee of Rs. One Lakh submitted by the unit has expired. The unit be asked to submit fresh bank guarantee of Rs One Lakh under Air Act valid for one year and Account Section be requested to release  the old bank guarantee. If the unit submits the fresh bank guarantee, closure directions may be revoked and unit be asked to apply for consent to operate within 30 days. In the meantime, compliance from discom and DJB be asked. 
	The unit be asked to submit fresh bank guarantee of Rs One Lakh under Air Act valid for one year and Account Section be requested to release  the old bank guarantee. If the unit submits the fresh bank guarantee, closure directions may be revoked and unit be asked to apply for consent to operate within 30 days. 
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	11019
	05-10-09
	The Belle Laboratories(P).Ltd
	1/562.Street no-8
	Friends Colony Industrial Area
	ORANGE ESTABLISH
	mfg of silicon detergent
	(1) CTE :
(2) CTO:
(3) CTO(R) :
(4) Authorization under HWM Rules :
(5) Date of Commissioning : 
(6) BUA : 
(7) Water consumption: 
(8) Ground Water :
(9) Waste water discharge :
(a) Domestic effluent : 
(b) Trade effluent: 
	Ask the unit to improve exhaust system. Issue SCN u/s 21/22 of the Air Act and u/s 25/26 of the Water Act. 
	(1) ETP: Not Provided.
(a) AR : Not submitted. (b) Effluent analysis report : Not submitted. 
(c) Number of parameters analyzed : Not applicable.  
(2) ECS: Not applicable. 
(a) AR : Not applicable.(b) Stack monitoring report : Not applicable. 
(c) Number of parameters analyzed : Not applicable.   
(3) D.G.Set: one DG set was observed lying in a disfunction condition (5-7.5 KVA).
(a) Noise monitoring report : Not submitted.  (b) Stack monitoring report (for more than 1000 KVA) : Not applicable.  
(4) Inspection details:inspection conducted by DPCC officials  on 19.05.10 & following observations have been made:
1.the unit was found operational & deals in Mfg of silicon detergent.
2.the activity involves mixing of the raw materials in the definite proportion so as to get the product. 
3. one DG set was observed lying in a disfunction condition (5-7.5 KVA).
4.one small lab exits for checking & testing 
5.As informed by the person contacted the waste water which of emerges out of floor washing and utensil washing is diposed off without treatment.
6.exhaust system  needs to be improved.           
(5) SCN u/s /33(A)/ details :NIL
(6) Closure directions  u/s 31(A)/33(A) details :  05.10.2010.                                                                                                                                          As per the decision dated 12.02.10  
	Ask the unit to confirm on an affidavit that waste water from the process is not discharged and spillage of any raw material / product will be avoided during floor washing and submit a bank guarantee of Rs. One Lakh under Water Act valid for one year. If the unit submits the aforesaid documents, closure directions be revoked. In the meantime, ask the discom and DJB to submit compliance report. 
	Inspection be conducted. 
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	11552
	03-12-10
	KARAN WIRE INDUSTRIES
	340/61, GALI NO. 1B, FRIENDS COLONY INDUSTRIAL AREA, G.T. ROAD, SHAHDARA
	FRIENDS COLONY INDUSTRIAL AREA
	Orange Renewal
	Copper Wire Drawing with Super Enamelling.
	(1) CTE : Not required as CTO issued on 27.11.2003 was valid upto 12.08.2005.
(2) CTO:Applied on 12.08.05. 
(3) CTO(R) : 03.12.2010.
(4) Authorization under HWM Rules :Not applied.
(5) Date of Commissioning : 2002.
(6) BUA : 130 Sqm.
(7) Water consumption:150LPD 
(8) Ground Water :NIL
(9) Waste water discharge :NIL
(a) Domestic effluent : 30 LPD
(b) Trade effluent: NIL
	16.03.2011: Ask the unit to submit the Bank Guarantee of Rs. 1 Lakh each under Air Act and HWM Rules valid for one year. If unit submits the Bank Guarantee, closure directions be revoked temporarily for 45 days to enable the unit the submission of the monitoring reports from approved laboratory of DPCC. 
	(1) ETP: NA
(2) ECS: Wet scrubber. 
(3) D.G.Set: ...125 KVA W/O.... A/E.............
(a) Noise monitoring report of ..125..........KVA dated.......NIL.........issued by ......NA.....submitted 
(b) Stack monitoring report (for more than 1000 KVA) dated ..NA............. issued by ...NA.............submitted 
(4) Inspection details: 24.09.2010: ECS not working. D.G set w/o A/E.
(5) SCN u/s 31(A)/33(A)/5 of EPA details : Nil.
(6) Closure directions  u/s 31(A)/33(A)/5 of EPA details : closure direction on 20.10.10 as no ECS was not found in operation on 24.09.2010.                                                                                                                                          
	As compliance regarding submission of bank guarantee of Rs. One Lakh each under Air Act and HWM Rules and status of providing acoustic enclosure with the D.G. Set not done. Ask the compliance from discom  & DJB and also ask the SDM for effective closure of the unit in view of the super enamelling activity. 
	Ask the compliance from discom  & DJB and also ask the SDM for effective closure of the unit.
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	NA
	NOT APPLIED
	KRISHNA UDYOG
	A-5/11, JHILMIL INDUSTRIAL AREA
	JHILMIL INDUSTRIAL AREA
	ORANGE
	Al utensils with buffing.
	((1) CTE :Not Applied
(2) CTO:Not Applied
(3) CTO(R) Not Applied
(4) Authorization under HWM Rules :Not Applied
(5) Date of Commissioning : OPERATING
(6) BUA : Not Applied
(7) Water consumption: Not Applied
(8) Ground Water :Not Applied
(9) Waste water discharge :Not Applied
(a) Domestic effluent :Not Applied 
(b) Trade effluent: Not Applied
	 Directions for closure has been issued on 20.10.2010 regarding ECS, in view of CWG-XIX-2010.
	(1) ETP: ………NA…
(2) ECS: …Not installed
(3) D.G.Set: ..NIL..
(4) Inspection details:06.10.2010: No ECS found
(5) SCN u/s 31(A) details :NIl
(6) Closure directions  u/s 31(A) details : 20.10.2010.     
	Ask the compliance from discom  & DJB and also ask the SDM for effective closure of the unit in view of the buffing activity. 
	Inspection be conducted. In case of deficiencies found, effective closure through SDM be done. 
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	11542
	26-11-2010
	DEV MATTEL INDUSTRIAL
	1/424/63,GALI NO IB FRIENDS COLONY INDUSTRIAL AREA
	Friends Colony Industrial Area
	ORANGE ESTABLISH
	Job work of Supper Enamel Paint on Aluminum Wire Unit.
	(1) CTE :26.11.2010
(2) CTO: 22.12.2010.
(3) CTO(R) :NA
(4) Authorization under HWM Rules :Not applied.
(5) Date of Commissioning :  2010.
(6) BUA : 85 Sqm.
(7) Water consumption: 200 L/D
(8) Ground Water :Nil
(9) Waste water discharge :
(a) Domestic effluent : 200 L/D(AS PER AFFIDAVIT) 
(b) Trade effluent: Nil
	14.02.2011:& 16.03.2011: Ask the unit to submit an affidavit w.r.t. the rectification of the deficiencies regarding hazardous waste management and acosutic enclosure with two D.G. Sets and a Bank Guarantee of Rs. One Lakh each under Air Act and HWM Rules valid for one year. If unit submits the aforesaid documents, closure directions be revoked and consent to establish be issued.
	(1) ETP: Not applicable. 
(2) ECS: Wet scrubber installed. 
(a) AR dated 30.11.2010 issued by GGSIPU submitted. 
(b) Stack monitoring report : Not submitted & stating that the same will be submitted after revocation. 
(c) Number of parameters analyzed : Not submitted.  
(3) D.G.Set: Two DG sets of 62.5 KVA without A/E were found.
(a) Noise monitoring report : Not submitted. 
(b) Stack monitoring report (for more than 1000 KVA) : Not applicable.  
(4) Inspection details:09.10.2010.: Operating W/O consent. ECS not installed.Two DG sets of 62.5 KVA without A/E were found.
(5) SCN u/s 31(A)/33(A)/5 of EPA details :Nil
(6) Closure directions  u/s 31(A) details : closure direction were issued to the unit wrt CWG on 20.10.2010. Reply received on 29.11.2010.
	Ask the compliance from discom  & DJB and also ask the SDM for effective closure of the unit in view of the super enamelling activity as unit has concealed information regarding D.G. Set and status of acoustic enclosure not mentioned. Also ask the unit to submit full compliance report i.e. providing acoustic enclosure and stack height with the D.G. Set and comliance regarding hazardous waste mangement. 
	Ask the compliance from discom  & DJB and also ask the SDM for effective closure of the unit. 
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	Not applied
	Not applied
	JOGINDER KHANEJA/SHASHANK MITTAL
	340/38, Gali No-1-B
	FRIENDS COLONY INDUSTRIAL AREA
	ORANGE 
	Super Enameling
	(1) CTE :Not Applied (Applied in the name of Shashank Mittal for wire & cable & granted on 05.04.2011).
(2) CTO:Not Applied
(3) CTO(R) :Not Applied
(4) Authorization under HWM Rules :Not Applied
(5) Date of Commissioning : No information.
(6) BUA : No information.
(7) Water consumption:No information. 
(8) Ground Water :No information.
(9) Waste water discharge :No information.
(a) Domestic effluent : No information.
(b) Trade effluent: NA
	16.03.2011: issue CTE with the stipulations of MPD-2021, regarding number of worker and plot area.
	(1) ETP: No
(2) ECS: Not Provided
(3) D.G.Set: .NIL.
(4) Inspection details:Inspected on 02.07.2009. ECS not found,.
(5) SCN u/s 31(A) details :NA
(6) Closure directions  u/s 31(A) details :20.10.2010.
	Ask the compliance from discom  & DJB and also ask the SDM for effective closure of the unit in view of the super enamelling activity. 
	Ask the compliance from discom  & DJB and also ask the SDM for effective closure of the unit.
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	NA
	NOT APPLIED
	MANOJ WIRE WORKS
	A-5/11, JHILMIL INDUSTRIAL AREA
	JHILMIL INDUSTRIAL AREA
	ORANGE
	Mfg. of Copper Wire Drawing and Super Enameling on copper wires.
	((1) CTE :Not Applied
(2) CTO:Not Applied
(3) CTO(R) Not Applied
(4) Authorization under HWM Rules :Not Applied
(5) Date of Commissioning : OPERATING
(6) BUA : Not Applied
(7) Water consumption: Not Applied
(8) Ground Water :Not Applied
(9) Waste water discharge :Not Applied
(a) Domestic effluent :Not Applied 
(b) Trade effluent: Not Applied
	 Directions for closure has been issued on 20.10.2010 regarding ECS, in view of CWG-XIX-2010.
	(1) ETP: Not applicable. 
(2) ECS: …………
(a) AR dated ………….issued by ……………..submitted. 
(b) Stack monitoring report dated ………….issued by ……………..submitted
(c) ..........number of parameters analyzed which are within limit / beyoud prescribed limit.  
(3) D.G.Set: ................
(a) Noise monitoring report of ............KVA dated................issued by ...........submitted and noise levels are within limit / beyond limit. 
(b) Stack monitoring report (for more than 1000 KVA) dated ............... issued by ................submitted and parameters within limit / not satisfactory. 
(4) Inspection details::06.10.2010: No ECS found
(5) SCN u/s 31(A)/33(A)/5 of EPA details :
(6) Closure directions  u/s 31(A)details : 20.10.2010.       
	Ask the compliance from discom  & DJB and also ask the SDM for effective closure of the unit in view of the super enamelling activity. 
	Ask the compliance from discom  & DJB and also ask the SDM for effective closure of the unit.
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	ABHAY RAM
	A-30, GROUP
	WAZIRPUR INDUSTRIAL AREA
	 
	Buffing of S.S. utensils.
	 
	 
	(1) Inspection details: Inspection of the unit was conducted on 17.09.2010.
observations:
1. Duriong inspection, buffing activity on stainless steel utensils was observed and no ECS was provided to chanelise the emissions generated from buffing. This activity was observed on Ist and 2nd floor.
2. basement of the premises is being used by M/s M.K. Steel engaged in circle cutting with the help of double action press machine (1 no.).
3. Ground floor of the premises is being used for Engg. work owned by M/s Ajit Singh 4 nos. of lathe machines and 1 no. of sinle press machine was seen.
4. First floor of the premises is being used for buffing work and half portion for office purpose.
5. Second floor of the premises is being used for buffin activity owned by M/s Ram kumar & M/s Raffequ & Safiq ( First Floor).
(2) SCN u/s 21/22 of Air Act & 25/26 of WAter Act details : Issued on 28.10.2010.
Reply has not been received.
(3) Closure directions  u/s 31(A) details : Issued on 20.10.2010.
Reply has been received on 31.12.2010 stating that they have closed the activity due to ill health 
and so have not applied for CTE/CTO.
	Ask the compliance from discom  & DJB. Ask the unit to submit is reply on an affidavit regarding closing down its activity in pursuance of closure directions within 15 days, failing which SDM will be asked for effective closure of the unit. 
	Ask the compliance from discom  & DJB and also ask the SDM for effective closure of the unit. 
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	11532
	22-12-10
	SHRI GANESH WINDING WIRE
	1/424/37,GALI NO IB FRIENDS COLONY INDUSTRIAL AREA
	FRIENDS COLONY INDUSTRIAL AREA
	Orange Operate
	Job work of Supper Enamel Paint on Aluminum Wire Unit.
	(1) CTE :26.11.2010.
(2) CTO:22.12.2010.
(3) CTO(R) :Not applicable.
(4) Authorization under HWM Rules : Not applied.
(5) Date of Commissioning : 2010.
(6) BUA : 75 (in sq. meter) 
(7) Water consumption: 100 liters/day
(8) Ground Water :Nil
(9) Waste water discharge :
(a) Domestic effluent :  80 liters/day 
(b) Trade effluent: Nil
.ECS:Yes, 30.11.2010. Test Report(Air) within Limit ---- N/A. D.G.Set: Nil. NMR Sumitted ---- N/A unit has been issued closure direction under 31(A) of Air Act.
	 14.02.2011: Ask the unit submit an affidavit  w.r.t the rectifications of the deficiencies regarding hazardous waste management & a BG of Rs.100000/- each under Air Act & HWM Rules valid for one year. If unit submits the above  said documents, closure direction be revoked and CTE be issued.
16.03.2011: Implement decision of CTE.
	(1) ETP: NA
(2) ECS: Yes
(a) AR dated …Nov 2010 issued by GGSIPU submitted. 
(b) Stack monitoring report dated …Not Submitted
(3) D.G.Set: ..NIL.
(4) Inspection details:09.10.2010.No ECS was found.
(5) SCN u/s 31(A) details :Nil
(6) Closure directions  u/s 31(A) dtails :   20.10.2010. 
HWM not yet applied.  
Bank Guarantee of Rs. One Lakh each under Air Act and HWM Rules submitted.                                     
	Ask the unit to submit the compliance w.r.t. hazardous waste management in order to fully compliance of CMC(Orange) decision dated 14.02.2011. In the meantime, ask the compliance from discom  & DJB and also ask the SDM for effective closure of the unit in view of the super enamelling activity. 
	Ask the compliance from discom  & DJB and also ask the SDM for effective closure of the unit.
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	36617
	04-03-11
	GANESH ENGG &  METAL  WORKS
	PLOT NO-A-9/2-A
	JHILMIL INDUSTRIAL AREA
	GREEN / ESTABLISH
	Light Engineering works
	(1) CTE :04.03.2011
(2) CTO:No
(3) CTO(R) :No
(4) Authorization under HWM Rules :NA
(5) Date of Commissioning : 03.2011
(6) BUA : 250Sqm.
(7) Water consumption: 100 LPD
(8) Ground Water :NIL
(9) Waste water discharge :
(a) Domestic effluent : 50 LPD
(b) Trade effluent: NIL
	04-02-2011 : Directions for closure has been issued on 20.10.2010 regarding ECS, in view of CWG-XIX-2010. CTE ---- Applied on 26.11.2010 (Pending)
23.05.2011: Inspection be conducted
	(1) ETP: NA
(2) ECS: wet scrubber
(a) AR dated ……Nov 2010 …….issued by …GGSIPU…………..submitted. 
(b) Stack monitoring report dated ………….issued by ……GGSIPU……..submitted
(c) ..........number of parameters analyzed which are within limit / beyoud prescribed limit.  
(3) D.G.Set: .NA.
(4) Inspection details:02.06.2011:-Facilities for foundry have been removed. 
(5) SCN u/s 31(A)details :Nil
(6) Closure directions  u/s 31(A) details : 20.10.2010. Unit has applied after changing activity to engg works.  
	CMC(Green) in its meeting dated 08.09.2011 has decided to ask the unit to submit bank guarantee of Rs. One Lakh under Air Act valid for one year. If unit submits the bank guarantee, closure directions be revoked and consent to establish be issued. 
	CMC(Green) in its meeting dated 08.09.2011 has decided to ask the unit to submit bank guarantee of Rs. One Lakh under Air Act valid for one year. If unit submits the bank guarantee, closure directions be revoked and consent to establish be issued. 
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	11713
	27-09-2010
	PAWAN KUMAR
	PLOT NO 458-466, GALI NO 8
	FRIENDS COLONY INDUSTRIAL AREA
	ORANGE/ ESTABLISH
	Mfg. of sanitory goods.
	(1) CTE : 27.09.2010.
(2) CTO:Not applied
(3) CTO(R) :nil
(4) Authorization under HWM Rules :Nil
(5) Date of Commissioning : Oct 2010.
(6) BUA : 42 Sqm.
(7) Water consumption: 500 LPD.
(8) Ground Water :NIL
(9) Waste water discharge :
(a) Domestic effluent : 50 LPD
(b) Trade effluent: 400LPD
	25.11.2010: 
Ask the unit to submit Bank Guarantee of Rs. One Lakh each under Air Act & Water Act valid for one year.  If unit submits the Bank Guarantee, closure directions be revoked and consent to establish be granted.  
	(1) ETP: Proposed
(2) ECS: Proposed
(3) D.G.Set: NIL.
(4) Inspection details: On 08.09.2010: ETP & ECS not found.
(5) SCN u/s 31(A)/33(A)/5 of EPA details : NIl
(6) Closure directions  u/s 31(A)/33(A)/5 of EPA details : 27.10.2010.
Letter asking the unit to submit Bank Guarantee of Rs. One Lakh each under Air Act & Water Act valid for one year was send on 11.01.2011. So far no bank guarantee has been received. 
Reply with affidavit received on 23.08.2011, Stating that unit hs been closed due to financial problem.  
	Consent be refused. Ask the compliance from discom  & DJB and also ask the unit to submit the documentary proof of closure of the unit e.g. surendering its MCD license / Sale Tax Registration etc. 
	Inspection be conducted. 
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	11722
	27-09-2010
	SANJAY
	PLOT NO 458-466, GALI NO 8
	FRIENDS COLONY INDUSTRIAL AREA
	ORANGE/ ESTABLISH
	Mfg. of sanitory goods.
	(1) CTE : 27.09.2010.
(2) CTO:Not applied
(3) CTO(R) :nil
(4) Authorization under HWM Rules :Nil
(5) Date of Commissioning : Oct 2010.
(6) BUA : 42 Sqm.
(7) Water consumption: 500 LPD.
(8) Ground Water :NIL
(9) Waste water discharge :
(a) Domestic effluent : 50 LPD
(b) Trade effluent: 400LPD
	25.11.2010: 
Ask the unit to submit Bank Guarantee of Rs. One Lakh each under Air Act & Water Act valid for one year.  If unit submits the Bank Guarantee, closure directions be revoked and consent to establish be granted.  
	(1) ETP: Proposed
(2) ECS: Proposed
(3) D.G.Set: NIL.
(4) Inspection details: On 08.09.2010: ETP & ECS not found.
(5) SCN u/s 31(A)/33(A)/5 of EPA details : NIl
(6) Closure directions  u/s 31(A)/33(A)/5 of EPA details : 27.10.2010.
Letter asking the unit to submit Bank Guarantee of Rs. One Lakh each under Air Act & Water Act valid for one year was send on 11.01.2011. So far no bank guarantee has been received. 
Reply with affidavit received on 23.08.2011, Stating that unit hs been closed due to financial problem.  
	Consent be refused. Ask the compliance from discom  & DJB and also ask the unit to submit the documentary proof of closure of the unit e.g. surendering its MCD license / Sale Tax Registration etc. 
	Inspection be conducted. 
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	11567
	01-11-2010
	AGGARWAL INSULATORS PVT. LTD.
	A-5/11, JHILMIL INDUSTRIAL AREA
	JHILMIL INDUSTRIAL AREA
	ORANGE / ESTABLISH
	Mfg. of Copper Wire Drawing and Super Enameling on copper wires.
	(1) CTE :01.11.2010
(2) CTO: No
(3) CTO(R) :No
(4) Authorization under HWM Rules :No
(5) Date of Commissioning : September 2010.
(6) BUA : 150 Sqm.
(7) Water consumption: 150 LPD
(8) Ground Water :YES
(9) Waste water discharge :
(a) Domestic effluent : 50 LPD
(b) Trade effluent: NIL
	14.02.2011: Ask the unit to submit an affidavit w.r.t. the rectification of the deficiencies regarding hazardous waste management and a Bank Guarantee of Rs. One Lakh each under Air Act and HWM Rules valid for one year. If unit submits the aforesaid documents, closure directions be revoked and consent to establish be issued.
	(1) ETP:NA
(2) ECS: installed.
(3) D.G.Set: ...NIL..
(4) Inspection details: 06.10.2010. No ECS was installed.
(5) SCN u/s 31(A)/33(A)/5 of EPA details :No.
(6) Closure directions  u/s 31(A) details :    28.10.2010.    
	Ask the compliance from discom  & DJB and also ask the SDM for effective closure of the unit in view of the super enamelling activity. 
	Reply received on 26.09.2011 in CMC-IV. Closure directions revoked on 13.10.2011 on file. No action warranted in this meeting. 
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	S.K. LALTOO
	A-32 (FIRST FLOOR)
	WAZIRPUR INDUSTRIAL AREA
	 
	Buffing on stainless steel utensils.
	 
	 
	(4) Inspection details: Inspection of the unit was conducted on 21.09.2010.
Observations:
1. Unit was not in operation during inspection, but all the facilities was existing regarding buffing.
2. ECS has been installed to channelise the trade emissions, but the same ws not operating condition.
3. As informed due to scarcity of labour, the unit is not operation.
(6) Closure directions  u/s 31(A)/33(A) details : Issued on 01.11.2010.
Reply has not been received.
	Ask the compliance from discom  & DJB and also ask the SDM for effective closure of the unit. 
	Ask the compliance from discom  & DJB and also ask the SDM for effective closure of the unit. 
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	TAHIR/NAWAB
	A-22, GROUP BACK SIDE
	WAZIRPUR INDUSTRIAL AREA
	 
	Buffing of S.S. utensils.
	 
	 
	 (4) Inspection details: Inspection of the unit was conducted on 17.08.2010:
Observations:
1. Unit found operating engaged in buffing of S.S. utensils at 4th floor.
2. No ECS installed.
(5) Closure directions u/s 31(A) details : issued on 01.11.2010.
Reply has been received on 18.11.2010 alongwith an affidavit stating 
that they have vacated the premises.
	Ask the compliance from discom  & DJB. Inspection be conducted. 
	Ask the compliance from discom  & DJB. Inspection be conducted. 
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	Not applied
	Not applied
	SUSHIL PANDIT/GINNI PLASTIC
	421/c, Gali No-6
	FRIENDS COLONY INDUSTRIAL AREA
	ORANGE 
	Super Enameling
	(1) CTE :Not Applied
(2) CTO:Not Applied
(3) CTO(R) :Not Applied
(4) Authorization under HWM Rules :Not Applied
(5) Date of Commissioning : No information.
(6) BUA : No information.
(7) Water consumption:No information. 
(8) Ground Water :No information.
(9) Waste water discharge :No information.
(a) Domestic effluent : No information.
(b) Trade effluent: NA
	Issue SCN for refusal of consent in view of no response received w.r.t. the letter dated 23.06.2010  issued by DPCC for necessary measures. Confirm closure directions to M/s Sushil Pandit.
	(1) ETP: No
(a) AR : Not applicable. 
(b) Effluent analysis report : Not applicable. 
(c) Nnumber of parameters analyzed : Not applicable.  
(2) ECS: Not Provided
(a) AR : No ECS.  
(b) Stack monitoring report : Not Provided
(c) Number of parameters analyzed : Not applicable.   
(3) D.G.Set: .NIL.
(a) Noise monitoring report : Not applicable.  
(b) Stack monitoring report (for more than 1000 KVA) : Not applicable.  
(4) Inspection details:Inspected on 02.07.2009. ECS not found.
(5) SCN u/s 31(A) details :Not issued. 
(6) Closure directions  u/s 31(A) details :22.11.2010.
	Ask the compliance from discom  & DJB and also ask the SDM for effective closure of the unit in view of the super enamelling activity. 
	Ask the compliance from discom  & DJB and also ask the SDM for effective closure of the unit.
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	35915
	10.12.2010
	WALKY FOOTWEARS
	I-2134 (FIRST FLOOR), DSIDC
	NARELA INDL AREA
	ESTABLISH
	Mfg. of PVC Footwear and EVA Footwear.
	(1) CTE : (P) Vide ID No. 35915 applied on 10.12.2010.
(2) CTO: (R) Refusal No. 2120 dated 03.06.2011
(3) CTE(R): 
(4) Authorization under HWM Rules :
(5) Date of Commissioning : July 2010.
(6) BUA : 200 sq mtrs.
(7) Water consumption: 125 ltr/day.
(8) Ground Water : Nil
(9) Waste water discharge :
(a) Domestic effluent : 60 ltr/day. 
(b) Trade effluent: Nil.
	16.03.2011
Ask the unit (i) to install Emission Control System / channelization for the process emissions (ii) to submit an affidavit confirming the installation of ECS / Channelization and removal of printing activity, and Bank Guarantee of Rs. One Lakh each under Air Act and HWM Rules. If the unit submits the aforesaid documents, closure directions be revoked and consent to establish be issued.
	(1) Inspection details: Inspection of the unit was conducted on 03.09.2010.
observations:
1. The unit found in operation and is enaged in mfg. of EVA footwear.
2. Printing is done over patawa of the shoes.
3. HW is not maintained properly as per HWM rules. the cloth or wood 
used in printing of (patawa) shoes is not stored as per HWM rules.
4. one Borewell found. No DJB permission.
5. No DG found. 
(2) SCN u/s 31(A) details : Issued on 01.11.2010.
Reply has been received on 14.12.2011 alongwith an affidavit stating
 that you are using the fresh EVA compound for manufacturing of EVA
 Footwears. hence ECS syaytem is not required & stopped the activity of printing, 
Applied for CTE/CTO. Further, requested for revocation of Show cause notice.
(3) Closure directions  u/s 31(A) details : Issued on 28.12.2010.
Reply has been received on 04.01.2011 stating that unit has already applied for CTE & CTO.
As per the decision taken up by CMC (O) dated 16.03.2011, letter was sent on 
07.07.2011 in which you are directed (i) to install Emission Control System / channelization 
for the process emissions (ii) to submit an affidavit confirming the installation 
of ECS / Channelization and removal of printing activity, and Bank Guarantee of
 Rs. One Lakh each under Air Act and HWM Rules.
	Ask the compliance from discom  & DJB and ask the unit to submit compliance report in response to DPCC's letter dated 07.07.2011, failing which, SDM will be asked for effective closure of the unit. 
	Ask the compliance from discom  & DJB and ask the unit to submit compliance report in response to DPCC's letter dated 07.07.2011, failing which, SDM will be asked for effective closure of the unit. 
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	SHRI SAI ENTERPRISES
	B-27/2
	WAZIRPUR INDL AREA
	 
	Anneling and cold re-rolling.
	(1) CTE : (Y) Vide C.No. 1198 issued on 12.08.2004 & valid upto 20.07.2005.
(2) CTO: (Y) vide C.No. 16345 issued on 27.07.2006 & valid upto 30.07.2007.
(3) CTO : (P) Applied on 05.10.2005 Vide ID No. 23785.
(4) CTE : (Y) Vide C.No. 18451 issued on 04.03.2008 & valid upto 03.03.2009.
(5) Authorization under HWM Rules :
(6) Date of Commissioning : 
(7) BUA : 
(8) Water consumption: 
(9) Ground Water :
(10) Waste water discharge :
(a) Domestic effluent : 
(b) Trade effluent: 
	 
	(4) Inspection details: Inspection of the unit was conducted on 02.04.2011.
observations:
1. Unit found operating, enaged in S.S. Pickling, Annealing & Cold re-rolling.
2. ETP found insatlled but same is lying defunct. filter press is also lying 
defunct & even not connected with ETP. No wet sludge seen. Dozing tanks 
are dry & labour hand gloves & cloths are filled.
3. ECS found installed but same is not working wet scrubbing system is 
defunct. Hood size & chhenelization stck of annealing furnace found broken
 & below roof level.
4. HWM Rules are not complied with.
5. Borewell connection exist=01 nos.
(5) SCN u/s 31(A)/33(A)/5 of EPA details : Issued on 02.05.2011.
Reply has been received on 09.05.2011 alongwioth an affidavit stating
 that they have rectified all the deficiencies observed during inspection.
(6) Inspection details: Inspection of the unit was again conducted on 20.05.2011.
observations:
1. Unit found operating, enaged in S.S. Pickling, Annealing & Cold re-rolling.
2. Deficiencies as observed earlier partially removed filter press agin found 
defunct & even not connected with ETP. ETP non- operational. No wet wet sludge seen.
3. ECS (Wet scrubber) attached with pickling section found in working condition.
4. Stack attached with annealing furnace again found in broken condition & below roof level.
5. Borewell connection exist=01 nos.
(7) Closure directions  u/s 31(A)/33(A) details : Issued on 08.01.2011.
reply has been received on 11.07.2011stating that M/s Sri Sai Enterprises
 has stopped their activity of S.S. Pickling and also removed at the related
 machinary/ equipment. Now there is no S.S. pickling is carried out. 
The other unit which is operating at B-27/2 is M/s Ankit Exim Pvt Ltd
 activity Cold re-rolling & Annealing of S.S. Sheet. Further, requested for
 revocation of closure directions.
	Ask the compliance from discom  & DJB. Also ask the unit to submit the documentary proof of the closure i.e. surendering of MCD licence and Sales Tax Registration etc. Inspection may also be conducted. 
	Inspection be conducted. 
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	28025
	05.11.2008
	KUMAR ENTERPRISES
	A-100/2
	WAZIRPUR INDL AREA
	ESTABLISH
	mfg. of  S.S. wire baskets with buffing.
	(1) CTE : (P) Applied on 05.11.2008 & Vide ID No. 28025.
(4) Authorization under HWM Rules :
(5) Date of Commissioning : Nov 2008 
(6) BUA : 320 sq mtr
(7) Water consumption: 50 ltr/d
(8) Ground Water : Nil
(9) Waste water discharge : Nil
(a) Domestic effluent : Nil
(b) Trade effluent: N/A
	07.05.2010
Case be considered after implementation of decision of scrutinizing Committee ( Issue SCN for refusal of consent and SCN for closure of the unit)
	(1) ETP: N/A
(2) ECS: N/A
(3) D.G.Set: NIL
(4) Inspection details: Inspection odf the unit was conducted on 07.07.2009.
Observations:
1. Unit found operational & is engaged in mfg. of stainless steel wire basket
 ( Kitchen Basket) with buffing & is located at Ist & 2nd floor.
2. ECS has not been connected to buffing machines however, buffing is being carried out.
(5) SCN u/s 31(A) & Refusal of consent details : Issued on 21.06.2010.
Reply has not been received.
(6) Closure directions  u/s 31(A) details : Issued on 18.01.2011.
Reply has not been received.
	Ask the compliance from discom  & DJB and also ask the SDM for effective closure of the unit. 
	Ask the compliance from discom  & DJB and also ask the SDM for effective closure of the unit. 
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	13978
	12-03-2009
	KRISHNA METAL INDSUTRY
	PLOT NO 340/20-A, GALI NO 1B
	FRIENDS COLONY INDUSTRIAL AREA
	GREEN / ESTABLISH
	Light Engineering works
	(1) CTE :valid upto 15.08.2011.
(2) CTO:valid upto 18.01.2009.
(3) CTO(R) :Refused
(4) Authorization under HWM Rules :NA
(5) Date of Commissioning : 01.2004.
(6) BUA : 85 Sqm
(7) Water consumption: 100 LPD
(8) Ground Water :NIL
(9) Waste water discharge :
(a) Domestic effluent : 50 LPD
(b) Trade effluent: NIL
	30.12.2010: consent refused & confirm closure. 
	(1) ETP: Not applicable. 
(a) AR : Not applicable.  
(b) Effluent analysis report : Not applicable. 
(c) Number of parameters analyzed : Not applicable.  
(2) ECS: Not applicable. 
(a) AR : Not applicable.  
(b) Stack monitoring report : Not applicable. 
(c) Number of parameters analyzed : Not applicable.   
(3) D.G.Set: .Nil. 
(a) Noise monitoring report : Not applicable.  
(b) Stack monitoring report (for more than 1000 KVA) : Not applicable.  
(4) Inspection details:Inspection done on 15.01.2010
(5) SCN u/s 31(A) details :25.11.2010.
(6) Closure directions  u/s 31(A) details :21.01.2011.
B.G of Rs.50,000/- submitted on 21.02.2011. 
Green renewal refused 21.01.2011.(ID No.29216). File was administratively put up and decided that notice u/s 21/22 & 25/26 be issued to seek CTO. Letter issued on 13.06.2011. unit replied that, it has closed its all activities.
	Ask the compliance from discom  & DJB and also ask the unit to submit the documentary proof of closure of the unit e.g. surendering its MCD license / Sale Tax Registration etc. 
	Inspection be conducted. 
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	22995
	02.08.2007
	D.D. MOTORS (A DIVISION OF D.D. INDUSTRIES LTD)
	6
	WAZIRPUR INDL AREA
	OPERATE
	Bodyshop, Denting, Painting, Repairing of vehicles.
	(1) CTE : (Y) Vide C.No. 21675 issued on 28.10.2009 & valid upto 27.10.10.
(2) CTO: (P) Applied on 02.08.07 & Vide ID No. 22995.
(3) CTO : (P) Applied on 11.05.11 & Vide ID No. 37037.
(4) Authorization under HWM Rules : 
(5) Date of Commissioning : 2006
(6) BUA : 1000 sq mtr
(7) Water consumption: 6000 kld/day 
(8) Ground Water : Nil
(9) Waste water discharge :
(a) Domestic effluent : Nil 
(b) Trade effluent: 5000 kld/day 
	16.06.2010
Case be considered after implementation of decision of Scrutinizing Committee (Issue SCN for revocation of consent and SCN u/s 33 (A) of the water Act, u/s 5 of HWM Rules and u/s 31 (A) of the Air Actfor closure of the unit.
	(1) ETP: Installed
(a) AR dated 30.03.2011, issued by G.G.S.I.PU submitted. 
(b) Effluent analysis report dated 30.03.2011 issued by G.G.S.I.P.U submitted.
(c) 4 number of parameters analyzed which are within limit.
(2) ECS: N/A
(b) Stack monitoring report dated 07.03.2011 issued by DPCC submitted.
(c) 1 number of parameters analyzed which are within limit. 
(3) D.G.Set: 62.5 KVA
(a) Noise monitoring report of  63 KVA dated  01.03.2011 issued by
 DPCC submitted and noise levels are within limit.
(4) Inspection details: Inspection of the unti was conducted on 04.05.2010.
Observations:
1. During inspection, servicing and washing of vehicles was being carried out.
2. During inspection, ETP was not found in operation and absence of 
fresh sludge indicates taht ETP was not in operation for last 1-2 weeks.
3. No sludge drying beds provided to collect the sludge drying beds.
4. Acoustic enclosures has been provided with both the D.G sets but the
 stack height was inadequate. A D.G set of 62.5 KVA was not in opertaing 
condition. As informed, this D.G. set is not in use.
5. No record about the use of chemicals used in ETP shown.
6. No record shown about the maintainance of hazardous waste.
(5) SCN u/s 31(A)/33(A)/5 of EPA details : Issued on 26.07.2010.
reply has been received on 23.08.2010 alongwith photograph of sludge drying 
beds & hazardous waste storage stating taht they have rectified all the deficiencies 
observed during inspection.
(4) Inspection details: Inspection of the unti was conducted on 16.12.2010.
Observations:
1. Unit found operating engaged in service, repair & washing of cars.
2. ETP found installed but lying defunct. waste water is being discharged
 without treatment & by- passed sample of waste water collected in presence 
of S. Devender Supervisor maintains. waste awter collection tank is over flow.
3. paint booth exist at G.F & 2nd floor. Stack height of both paint booth are inadequate.
 No HWM Rules are complied.
4. D.G set found with acoustic enclosure. Stack height inadequiate.
5. Borewell connection exist=01 nos.
(6) Closure directions  u/s 31(A)/33(A)/5 of EPA details : Issued on 01.02.2011.
Reply has been received on 10.03.2011 alongwith an affidavit, Analysis report
 of water effluent, stack monitoring report & nosie monitoring report.
	Ask the compliance from discom and DJB. Ask the unit to submit bank guarantee of Rs. 2 Lakh each under Air Act, Water Act and HWM Rules valid fo one year as decided by Scurtinizing Committee on 18.08.2011. 
	Ask the compliance from discom and DJB. Ask the unit to submit bank guarantee of Rs. 2 Lakh each under Air Act, Water Act and HWM Rules valid fo one year as decided by Scurtinizing Committee on 18.08.2011. 
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	S.N.S. VEGETABLES
	D-37 (IST FLOOR)
	SMA INDL AREA,
	 
	Food and Fruit Processing
	(1) CTE (P) : Applied on14.03.2011 Vide Id.No.36683.
(2) CTO:
(3) CTO(R) :
(4) Authorization under HWM Rules :
(5) Date of Commissioning : 
(6) BUA : 
(7) Water consumption: 
(8) Ground Water :
(9) Waste water discharge :
(a) Domestic effluent : 
(b) Trade effluent: 
	10.08.2011
Issue final reminder of the letter issued administratively.
	(1) ETP: Not Submitted.
(2) D.G.Set: NIL
(4) Inspection details: Inspection of the unit was conducted on 30.10.2010.
Observations:
1. Unit found operating enaged in food processing vegetables are being washed
 and processed/ packaed and sale to hotelier/ restaurants. chiken meet
 also stored/ packed for sale in hotels.
2. No ETP installed for the treatment of waste water generated.
3. As informed unit shifted from Chhaterpur area to present premise since last 3 months.
(3) SCN u/s 31(A)/33(A) details : Issued on 15.12.2010.
Reply has been received on 03.01.2011 stating that the applicant never deals 
in Meat from the above address and moreover using mineral water for washing 
of vegetables, for waste water ETP is installed at the above address and CTE & CTO 
is under process. Further, no officials visited for inspection on 30.10.2010 in the 
presence of the applicant.
(4) Closure directions  u/s 31(A)/33(A) details : Issued on 07.02.2011.
Reply has been received on 09.03.2011 alonwith an affidavit stating that they have
 applied for CTE (O) , installed ETP & requested to revoke the closure directions.
As per the decision taken up by Competent Autority letter was sent to the unit on 
10.06.2011 regarding submission of Bank Guarantee, CTO, Adequecy and test 
report of ETP & Noise monitoring report.
Reply has not been received.
Final reminder was sent on 19.09.2011.
Reply has not been received.
	Ask the compliance from discom  & DJB. If unit fails to submit the compliance in response to letter dated 19.09.2011, SDM will be asked for effective closure of the unit.
	Ask the compliance from discom  & DJB. If unit fails to submit the compliance in response to letter dated 19.09.2011, SDM will be asked for effective closure of the unit.
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	33638
	23-04-10
	LEATHER & TEXTILE INC.
	B-164, PHASE-I
	OKHLA INDUSTRIAL AREA
	Establish
	Mfg. of Leather Garments
	(1) CTE : refused on 17.02.11 vd refusal no. 2088.
(2) CTO: Not applied
(3) CTO(R) : Not applied
(4) Authorization under HWM Rules : N/a
(5) Date of Commissioning : 01.07.10
(6) BUA : 261.8 Sq. mts
(7) Water consumption: 7500 Lt/day
(8) Ground Water : Nil
(9) Waste water discharge :
(a) Domestic effluent : 500Lt/day
(b) Trade effluent: 7000 Lt/day
	             26.05.10
Inspection be conducted w.r.t. trade effluent discharge. 
      13.08.10
Inspection done. Issue SCN for refusal of consent and SCN for closure of the unit.
      09.11.10
Issue SCN for closure u/s 31(A) of the Air Act and u/s 33(A) of the Water Act. Inform to DJB regarding ground water extraction. 
	(1) ETP: not installed
(2) ECS: Oil fired boiler installed. 
(b) Stack monitoring report : Not submitted. 
(3) D.G.Set: 63 KVa installed and inadequate stack height. 
(a) Noise monitoring report : Not submitted. . 
(4) Inspection details: Carried out on 09.08.10 & following were observed:
1. The unit is engaged in mfg of Leather Accessories & mfg of Readymade Garments including Washing.
2. No ETP has been installed to treat the trade effluent generated from washing.
3. Adequate stack height has not been provided with the oil fired boiler.
4. Adequate stack height & acoustic enclosure has no been provided with the DG Set of 62.5 KVA.
5. One Bore Well exists.
(5) SCN u/s 31(A) & 33(A)details : issued on 27.10.10. Returned back undelivered & same was delivered by hand on 05.01.11 & it was observed that the unit is still being operated without installation of ETP. ( SCN for refusal of CTE also issued on 27.10.10).
Unit has failed to submit its reply within stiplated time. 
(6) Closure directions  u/s 31(A) & 33(A) details : issued on 17.02.11.( Refusal of CTE also issued on 17.02.11).
No complaince received from the unit as 
well as conserned authorities i.e MCD, DJB & BSES.
	Ask the compliance from discom, DJB & MCD and also ask the SDM for effective closure of the unit.
	Ask the compliance from discom, DJB & MCD and also ask the SDM for effective closure of the unit.
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	DIVINE GARDEN
	20, MILESTONE BUDHPUR VILLAGE, NANGLI, NEAR SAROJ GAS AGENCY
	ALIPUR, DELHI
	 
	Farm House, A Party Lawn
	(1) CTE : Applied on 28.04.2011 Vide Id.No.36978.
(2) CTO:
(3) CTO(R) :
(4) Authorization under HWM Rules :
(5) Date of Commissioning : 2010
(6) BUA : 3 Bigah & 15 Biswa.
(7) Water consumption: 6 kl/day
(8) Ground Water :6 kl/day
(9) Waste water discharge :
(a) Domestic effluent :1.5 kl/day 
(b) Trade effluent: 4.5 kl/day
	10.08.2011
Ask the unit to submit bank guarantee of Rs. One lakh each under Air Act and Water Act for one year and permission from MCD.
	(1) ETP: Not Installed 
(2) ECS: N/A
(3) D.G.Set:125 KVA
(a) Noise monitoring report of 125 KVA  : not submitted. 
(4) Inspection details: Inspectioon of the unit was
 conducted on 23.11.2010.Observations:
1. Farm House cum restaurant in operational however, no function is going on.. 
2. Decorative light fittting work is going on. 3. No STP/ETP installed to treat the waste water 
generates during the functions.
4. At back side kitchen, a brick masonary well of 
about '12' dia & '20' deep covered with RCC 
slab with a man hole found full of dirty waste water & garbage.
5. No channelizationsystem provided in kitchen.6. Cattering tabels/ furniture & tent cloth etc. exist.
7. For toilet discharge septic tank installed. 8. Bore well connection exist =01 nos.
(5) SCN u/s 31(A)/33(A) details : Issued on 03.01.2011.
Reply has not been received.
(6) Closure directions  u/s 31(A)/33(A) details : Issued on 08.03.2011.
Reply has been received on 09.08.2011 along with 
an affidavit statinf that they have install the ETP (Biological) 
type. Further requested for revocation of closure directions. 
As per the decision taken up by CMC (O) dated 10.08.2011
 letter was sent on 19.09.2011 in which you were directed 
to submit bank guarantee of Rs. 1 lakh
each under Air Act & Water Act along with 
the permission from the Municipal Corporation of Delhi.
	Decision taken on file be pursued. Compliance received from NDPL & SDM. 
	Consent to establish be made infructuous. Closure directions be revoked.


