Minutes of the 170th meeting of the Committee Constituted for Deciding the Consent under Orange Category, held on 05.10.2011 in the Conference Room of Chairman, DPCC.

   The following persons attended the meeting:

Sh. Keshav Chandra, Chairman, DPCC

Sh. Sandeep Mishra, Member Secretary, DPCC

Prof. S. K. Gupta, IIT-Delhi 

Sh. M. Dwarakanth, SSO, Dept. of Env., GNCTD. 

SEEs of CMC –  I, II, III & IV.


EEs of CMC – I, II, III & IV.


EEs, PGRC
Sh. B. Kumar, Addl. Director, DPCC could not attend the meeting.
Following are the minutes of the meeting:- 

Agenda Item No. 1-  Personal hearing of M/s  Delhi International Airport (P) Ltd., New Uddan Bhawan, Opp. Terminal-3, IGI Airport, New Delhi

The representative of M/s Delhi International Airport (P) Ltd. Dr. M. Muthukrishnan, Associate General Manger, Environment Department, came for personal hearing.  Regarding the installation of the wet scrubber, he informed to the Committee that the matter of installation of the scrubbers in the rest of the D.G. Sets is under discussion as the stack height of these D.G. Sets are marginally less than the prescribed heights. He assured to the Committee that either the stack heights will be raised upto the requirement or the wet scrubbers will be installed expeditiously. Regarding the exceeding limits of the pollutants in the stack monitoring reports of the D.G. Sets, he informed to the Committee that the rectification measures have been taken and the fresh stack monitoring reports of all the D.G. Sets from approved laboratory of DPCC will be submitted. He further assured that the adequacy report of the wet scrubbers from empanelled consultant of DPCC will also be submitted. Regarding the dissolve phosphate parameters in the effluent analysis report, he explained that the same has been analyzed in the form of phosphate instead of the dissolved phosphate as “P”.  It was further apprised to the Committee that the old STP of 05 MLD capacity is being used as a water reservoir and new STP upto the capacity of 15 MLD is operational which will be augmented upto 25 MLD in future depending upon need. Four MLD waste water presently being received from the airport facilities is being treated in the new STP. On this issue, the Committee deliberated and it was felt that DIAL may treat the untreated sewage from the other nearby area of the Delhi in order to fully utilize the installed treatment capacity of the 25 MLD capacity. The Committee further opined that the modalities in this regard be discussed with the Delhi Jal Board  in order to receive the supply of the untreated sewage from the nearby area for treatment in the STP of the DIAL.  This initiative will extend the help to the society and tackle the sewage treatment issues of the nearby area of Delhi and will replenish the demand of water in the airport facilities which at present is being met with by way of ground water extraction from 64 bore-wells. Regarding solar water heating system, the representative of the DIAL informed that there are 110 solar water heating systems in the airport area. More than 60 solar street lights have been installed in the airport resulting into 20 % of the energy consumption. Regarding rain water harvesting system, it was informed to the Committee that about 300 recharge wells have been installed in the airport for this purpose.  An issue of the authorization of hazardous waste management was also raised during the meeting in view of the various airlines being operated in the airport area. After the discussion, it was confirmed to the DIAL that the DIAL has to apply for authorization under HWM Rules as a comprehensive entity including all airlines or service vendors operating there as the DIAL has the control on the affairs of the premises of the airport. 
The Committee deliberated on the above issues and following was decided:-
(i) Renewal of consent be issued if the DIAL complies with the following: (a) submit the fresh stack monitoring reports of all the D.G. Sets of the capacity more than 1000 KVA from approved laboratory of DPCC to substantiate the compliance of gazette notification dated 09.07.2002. (b) Install the wet scrubber on all the D.G. Sets where relaxation of the D.G. Sets stack height had been requested and adequacy report is submitted from empanelled agencies of DPCC. (c) submit the fresh effluent analysis report  of the  treated effluent with complete parameters as per the previous consent conditions, from approved laboratory of DPCC. 
(ii) The DIAL be directed to work out the modalities to receive the supply of the untreated sewage from the nearby area for treatment in the STP of the DIAL in order to fully utilize the installed treatment capacity of the DIAL’s STP.
(iii) The DIAL to apply for authorization under HWM Rules as a comprehensive entity including all airlines or service vendors operating there. 

Agenda Item No. 2- Cases processed administratively for putting up in CMC, considered by Scrutinizing Committee on 18.08.2011(28 cases).

This agenda could not be taken up by the Committee, due to paucity of time, and it was decided to take up the same in the next meeting.

Agenda Item No. 3-  Consent to Establish cases under Orange category  w.e.f. 01.06.2011 excluding the cases of  redevelopment areas, considered by Scrutinizing Committee on 09.09.2011/ 12.09.2011(78 cases). 

.

Decisions recommended with respect to this agenda are tabulated and annexed as Annexure – 1. 

Agenda Item No. 4- Inspection cases in compliance of earlier CMC's decisions, considered by Scrutinizing Committee on 09.09.2011/ 12.09.2011(07 cases).

This agenda could not be taken up by the Committee, due to paucity of time, and it was decided to take up the same in the next meeting.

Agenda Item No. 5- Cases processed administratively for putting up in CMC, considered by Scrutinizing Committee on 09.09.2011/ 12.09.2011(04 cases).

This agenda could not be taken up by the Committee, due to paucity of time, and it was decided to take up the same in the next meeting.

Agenda Item No. 6 Consent to Operate(Renewal)  cases under Orange category   of  redevelopment areas from 12.08.2009 to 22.03.2011, considered by Scrutinizing Committee on 09.09.2011/ 12.09.2011(70 cases). 

This agenda could not be taken up by the Committee, due to paucity of time, and it was decided to take up the same in the next meeting.

Agenda Item No. 7-  Cases in which closure directions u/s 31(A) of the Air Act/ 33(A) of the Water Act / 5 of EPA are in force, considered by Scrutinizing Committee on 22.09.2011/ 23.09.2011 / 26.09.2011 (145 cases).

This agenda could not be taken up by the Committee, due to paucity of time, and it was decided to take up the same in the next meeting.

Agenda Item No. 8- Inspection cases in compliance of earlier CMC's decisions, considered by Scrutinizing Committee on 22.09.2011/ 23.09.2011 / 26.09.2011 (39 cases).

This agenda could not be taken up by the Committee, due to paucity of time, and it was decided to take up the same in the next meeting.

Agenda Item No 9 - Table Agenda Item No. 1 w.r.t. status of the cases of Udyog Nagar Indl. Area  in which action was taken in pursuance of the complaint received Sh. Ramesh Kumar, Member of Parliament, considered by Scrutinizing Committee on 22.09.2011/ 23.09.2011 / 26.09.2011 (35 cases). 

This agenda could not be taken up by the Committee, due to paucity of time, and it was decided to take up the same in the next meeting.

Agenda Item No 10 - Tale Agenda Item No. 2 w.r.t. the cases covered in negative list as per MPD-2021 which were forwarded to MCD, DDA & COI, considered by Scrutinizing Committee on 22.09.2011/ 23.09.2011 / 26.09.2011 (05 cases). 

This agenda could not be taken up by the Committee, due to paucity of time, and it was decided to take up the same in the next meeting.

Table Agenda Item No 1: Report of Dy. Commissioner (West) in respect of fire at H-9, Udyog Nagar, Peeragarhi on 27.04.2011

 The matter was discussed in the meeting on the issue of the recommendation in the report that prior to issuance of the consent to the PVC footwear manufacturing units, DPCC/Environment Department should consider the issues of environment and safety by the chemical hazard exposure caused by these units. It was decided that a committee be constitute under the chairmanship of the Member Secretary, DPCC for examining the issues. 
Meeting ended with thanks to the chair. 

	S. No.
	I.D. No
	appl_dt
	Industry Name
	Industry Address
	Industrial Area
	Category
	Activitiy / Product
	Consent Status
	Earlier Committee Decision
	Remarks / Action Taken / ATR
	Recommendations of Scrutinizing Committee on 09.09.2011 / 12.09.2011
	Decision recommended by CMC(Orange) on 05.10.2011

	1
	37248
	01-06-2011
	NEW HEALTHY HOME FOODS
	PLOT NO 102, POCKET-A, SECTOR-2, DSIDC
	BAWANA INDUSTRIAL AREA
	ESTABLISH
	Spice factory
	_
	_
	BUA : 65 sq. mtrs.
Date of Commissioning : 15th July, 2011
Water consumption: 100 ltr/day
Ground Water :Nil
Waste water generation:
Domestic effluent : 50 ltr/day
Trade effluent: Nil
ETP: N.A.
ECS: Proposed the installation of dust collector. 
D.G.Set: Nil.
	Recommended for grant of consent to establish. 
	Issue consent to establish. 

	2
	37249
	01-06-2011
	EXECUTIVE ENGINEER, SWD-4, DDA
	NELSON MANDELA ROAD, VASANT KUNJ
	NC-SW
	ESTABLISH
	Residential Project
	_
	_
	BUA : 8855 sqm
Date of Commissioning :27.03.2009
Water consumption:822.308 KLD
Ground Water : 300 KLD
Waste water generation: 
Domestic effluent :657.846 KLD
Trade effluent:N/A
D.G set : N/A
The environmental clearance issued by SEIAA has directed to take legal action for starting the construction before EC and to obtain ex-post facto consent to establish. 
	Ask the DDA to explain for indicating the higher waste water discharge figure in consent application and lower built up area in comparision of the figures indicated in EC. Also take clarification for not indicating the gross capital investment at column no 5 of the consent application  and direct the DDA to submit technical adequacy report of STP clearly indicating the provisions proposed  / made for recycling its treated water with clear indication of the quantity of waste water discharge from the premises so that the further action w.r.t. the instructions issued by SEIAA be decided. 
	Ask the DDA to explain for indicating the higher waste water discharge figure in consent application and lower built up area in comparision of the figures indicated in EC. Also take clarification for not indicating the gross capital investment at column no 5 of the consent application  and direct the DDA to submit technical adequacy report of STP clearly indicating the provisions proposed  / made for recycling its treated water with clear indication of the quantity of waste water discharge from the premises so that the further action w.r.t. the instructions issued by SEIAA be decided. 

	3
	37257
	02-06-2011
	MANOJ ELECTRIC & CABLE CO.
	PLOT NO 35, SECTOR-5, POCKET-I, DSIDC
	BAWANA INDUSTRIAL AREA
	ESTABLISH
	Job work of PVC compound, wires, cables and wire drawing
	_
	_
	BUA : 150 sq. mtrs.
Date of Commissioning : Jun 2011
Water consumption: 200 ltr/day
Ground Water :Nil
Waste water generation:
Domestic effluent : 100 ltr/day
Trade effluent: Nil
ETP: Not applicable. 
ECS: Channelization proposed. 
D.G.Set: Nil.
	Recommended for grant of consent to establish. 
	Issue consent to establish with the condition to provide hood & suction arrangement followed by a duct raised well above roof level (atleast 2.0 meter above roof level) to channelize the process emissions during plastic moulding / extrusion operations. 

	4
	37259
	02-06-2011
	GRANITE AND MARBLES INDIA
	B-210
	NARAINA INDUSTRIAL AREA PH-I
	ESTABLISH
	Job work of Marbles, Granites & Trading.
	 
	 
	BUA : 300 sqm 
Date of Commissioning :Expected Aug, 2011
Water consumption:1 KLD
Ground Water :NIL
Waste water generation: 
Domestic effluent : 0.150 KLD
Trade effluent:0.600 KLD
D.G set : NIL
	Recommended for grant of consent to establish. Subsequently, inspection be conducted. 
	Issue consent to establish. Subsequently, inspection be conducted. 

	5
	37264
	02-06-2011
	A. PAUL INSTRUMENTS (DELHI)
	D-6/3, PHASE-I
	OKHLA INDUSTRIAL AREA
	ESTABLISH
	Mfg of electronic products & thermometers
	Earlier CTR (Green) granted on 08.12.05 vide ID no 13497

CTR (Green) pending applied on 19.04.10 vide ID No. 33572 being made infructous as per CMC(Green) decision. 
	     25.11.10
The committee deliberated on the issue and it was decided that the category of the unit be shifted to the orange category in view of theuse of mercury as a raw material and generation of mercury bearing waste which is hazardous in nature. Ask the unit to apply for consent under orangecategory.
        04.03.11
Ask the unit to apply for consent under orange category in view of hazard of mercury waste.
	BUA : 162 sq. mts
Date of Commissioning : 1997
Water consumption: 1100 lts/day
Ground Water :Nil
Waste water generation: 
Domestic effluent :1000 Lts/day 
Trade effluent: Nil
ETP: N/A
ECS: N/A
D.G.Set: 10 KVA. Noise Monitoring report issue by DPCC submitted and parameters within limits. 
As per the decision of cmc(green) dated 04.03.10, letter to apply for consent under orange category in view of hazard of mercury waste issued on 20.04.11
	Recommended for grant of consent to establish with advisory for safe handling of mercury waste. Also inform to BMW Cell regarding mercury waste. 
	Issue consent to establish with advisory for safe handling of mercury waste. Also inform to BMW Cell regarding mercury waste. 

	6
	37282
	03-06-2011
	MALGUDI (A UNIT OF KTG HOSPITALITY)
	J-2/12, B.K. DUTTA MARKET, RAJOURI GARDEN
	NC-W
	ESTABLISH
	Restaurant
	_
	_
	BUA : 150 sqm
Date of Commissioning :15th May, 2010
Water consumption:3.0 KLD
Ground Water :Nil
Waste water generation: 
Domestic effluent :0.500 KLD
Trade effluent : 2 KLD. 
D.G set : 125 KVA (Proposed)
PGRC issued modified directions u/s 31(A) & 33(A) on 20.04.2011 due to complaint after inspection dated 14.02.2011. Adequacy report of the ETP : 27.04.2011
NMR of D.G.Set : 28.04.2011
Bank guarantee of Rs. 50,000 each under Air Act and Water Act submitted on 17.06.2011
	Recommended for grant of consent to establish. Subsequently, inspection be conducted. 
	Issue consent to establish. Subsequently, inspection be conducted. 

	7
	37284
	06-06-2011
	R.K. ELECTRICALS
	PLOT NO 124, POCKET-D, SECTOR-2, DSIDC
	BAWANA INDUSTRIAL AREA
	ESTABLISH
	Plastic products (for cosmetics)
	_
	_
	BUA : 60 sq. mtrs.
Date of Commissioning : Aug 2011
Water consumption: 200 ltr/day
Ground Water :Nil
Waste water generation:
Domestic effluent : 160 ltr/day
Trade effluent: Nil
ETP: Not applicable. 
ECS: Channelization propsoed.  
D.G.Set: Nil.
	Recommended for grant of consent to establish. 
	Issue consent to establish. 

	8
	37285
	06-06-2011
	INDU INDUSTRIES
	PLOT NO 90, POCKET-N, SECTOR-2, DSIDC
	BAWANA INDUSTRIAL AREA
	ESTABLISH
	Corrugated boxes with offset printing
	_
	_
	BUA : 100 sq. mtrs.
Date of Commissioning : July 2011
Water consumption: 200 ltr/day
Ground Water :Nil
Waste water generation:
Domestic effluent : 150 ltr/day
Trade effluent: Nil
ETP: Not applicable. 
ECS: Not applicable. 
D.G.Set: Nil.
	Recommended for grant of consent to establish. 
	Issue consent to establish. 

	9
	37287
	06-06-2011
	STAR INSULATION (PROP. INDER KANT OJHA)
	A-5/11
	JHILMIL INDUSTRIAL AREA
	ESTABLISH
	COPPER WIRE DRAWING AND SUPER ENAMELLED COPPER WIRE.
	Earlier CTO granted on 18.04.2002 which was valid upto 17.04.2005.
CTO applied on 09.06.2011.
	_
	Water Consumption ---- 200 liters/day
Ground Water ---- Nil liters/day
Built Up Area ---- 100 (in sq. yards)
Society / Membership No ---- NO
Date of commissioning of project ---- 25.05.2011
Waste Water generation 
  Domestic Effluent ---- 150 liters/day
  Trade Effluent ---- 0 liters/day
DG Set: Nil.
	Ask the unit to submit the details of the use of the premises during the period 18.04.2005 to 08.06.2011 with documentary proof. Also ask the unit to submit proof of ownership of premises. 
	Ask the unit to submit the details of the use of the premises during the period 18.04.2005 to 08.06.2011 with documentary proof. Also ask the unit to submit proof of ownership of premises. 

	10
	37293
	06-06-2011
	INTERNATIONAL PANNACEA LTD.
	B-208, IST FLOOR, PHASE-I
	OKHLA INDUSTRIAL AREA
	ESTABLISH
	R&D lab of biotech products
	_
	_
	BUA : not mentioned
Date of Commissioning : Dec 2010
Water consumption: 650 Lt/day on application form & 500 Lt/day on affidavit
Ground Water : Nil
Waste water generation: 
Domestic effluent : 250 Lt/day on application form & 200 Lt/day on affidavit
Trade effluent: 300 Lt/day              
ETP: Inform to have installed along with photographs. 
ECS:  N.A
D.G.Set: Yes ( 25 KVA ) 
Unit is having one electric boiler
CMC(O) on 31.03.2011 decided to issue SCN for closure to the unit as the unit was found operating during an inspection. 
Unit was directed on 27.07.2011 not to operate any water polluting activity till iinstallation of ETP as per decision taken on file. 
	Ask the unit to submit bank guarantee of Rs. 50,000 under Water Act valid for one year. If unit submits the bank guarantee, consent to establish be issued. 
	Ask the unit to submit bank guarantee of Rs. 50,000 under Water Act valid for one year. If unit submits the bank guarantee, consent to establish be issued. 

	11
	37298
	07-06-2011
	MAHAVIRA ENTERPRISES
	PLOT NO 6, POCKET-I, SECTOR-4, DSIDC
	BAWANA INDUSTRIAL AREA
	ESTABLISH
	Plastic / PVC granules and Plastic products
	_
	_
	BUA : 150 sq. mtrs.
Date of Commissioning : July2011
Water consumption: 200 ltr/day
Ground Water :Nil
Waste water generation:
Domestic effluent : 150 ltr/day
Trade effluent: Nil
ETP: N.A.
ECS: Nil
D.G.Set: Nil.
	Recommended for grant of consent to establish with the condition to provide hood & suction arrangement followed by a duct raised well above roof level (atleast 2.0 meter above roof level) to channelize the process emissions during plastic moulding / exruction operations. 
	Issue consent to establish with the condition to provide hood & suction arrangement followed by a duct raised well above roof level (atleast 2.0 meter above roof level) to channelize the process emissions during plastic moulding / extrusion operations. 

	12
	37300
	07-06-2011
	J.B. METAL INDUSTRIES
	E-719, DSIDC
	NARELA INDUSTRIAL AREA
	ESTABLISH
	Aluminium Casting.
	_
	_
	BUA : 350 Sq. mtrs.
Date of Commissioning : July, 2011
Water consumption: 250 ltr/day
Ground Water : NIL
Waste water generation: 
Domestic effluent : 150 ltr/day
Trade effluent: NIL
ETP: N/A 
ECS: Chimney proposed.
D.G.Set: NIL
Type of furnace not clear. 
	Unit be asked to clarify the type of melting furnace in view of the fact that the only the pit furnaces are allowed in foundary operations.  Inspection may also be conducted. 
	Unit be asked to clarify the type of melting furnace in view of the fact that the only the pit furnaces are allowed in foundary operations.  Inspection may also be conducted. 

	13
	37302
	07-06-2011
	RAJESH MAKHIJA
	C-35/11
	LAWRENCE ROAD INDUSTRIAL AREA
	ESTABLISH
	Mfg. of PVC/ Palstic Products.
	_
	_
	BUA : 225 Sq. mtrs.
Date of Commissioning : July,2011
Water consumption: 200 ltr/day
Ground Water : NIL
Waste water generation: 
Domestic effluent : 100 ltr/day
Trade effluent: NIL
ETP: N/A
ECS: Stack proposed. 
D.G.Set: NIL
	Recommended for grant of consent to establish with the condition to provide hood & suction arrangement followed by a duct raised well above roof level (atleast 2.0 meter above roof level) to channelize the process emissions during plastic moulding / exruction operations. 
	Issue consent to establish with the condition to provide hood & suction arrangement followed by a duct raised well above roof level (atleast 2.0 meter above roof level) to channelize the process emissions during plastic moulding / extrusion operations. 

	14
	37305
	07-06-2011
	AMIT PLASTIC INDUSTRIES
	E-798, DSIDC
	NARELA INDUSTRIAL AREA
	ESTABLISH
	PVC Product (by injection moulding machine).
	_
	_
	BUA : 350 Sq. mtrs.
Date of Commissioning : September,2011
Water consumption: 100 ltr/day
Ground Water : NIL
Waste water generation: 
Domestic effluent : 80 ltr/day
Trade effluent: NIL
ETP: N/A
ECS: Channelization proposed. 
D.G.Set: NIL
	Recommended for grant of consent to establish with the condition to provide hood & suction arrangement followed by a duct raised well above roof level (atleast 2.0 meter above roof level) to channelize the process emissions during plastic moulding / exruction operations. 
	Issue consent to establish with the condition to provide hood & suction arrangement followed by a duct raised well above roof level (atleast 2.0 meter above roof level) to channelize the process emissions during plastic moulding / extrusion operations. 

	15
	37314
	08-06-2011
	SANJAY GOYAL AND VIJAY GOYAL
	B-60, GROUP
	WAZIRPUR INDUSTRIAL AREA
	ESTABLISH
	Mfg. of Kitchen accessories with Buffing.
	_
	_
	BUA : 400 sq.mtrs.
Date of Commissioning : Feb,2011
Water consumption: 20 ltr/day
Ground Water : NIL
Waste water generation: 
Domestic effluent : 50 ltr/day
Trade effluent: NIL
ETP: N/A
ECS: Cyclone proposed.
D.G.Set: NIL
SCN for closure dated 20.05.2011 issued as no ECS on buffing was found during inspection and closure was confirmed on 12.07.2011. Unit replied that ECS installed and applied for adequacy report to DTU. 
	Unit be asked to submit bank guarantee of Rs. One Lakh under Air Act valid for one year along with the technical adequacy report of the ECS from empanelled consultant of DPCC. In the meantime, compliance of closure directions be sought from NDPL & DJB etc. 
	Unit be asked to submit bank guarantee of Rs. One Lakh under Air Act valid for one year along with the technical adequacy report of the ECS from empanelled consultant of DPCC. In the meantime, compliance of closure directions be sought from NDPL & DJB etc. 

	16
	37315
	08-06-2011
	PERFECT INDUSTRIES
	A-7, GROUP
	WAZIRPUR INDUSTRIAL AREA
	ESTABLISH
	Mfg. of Stainless Steel Utensils
	CTR (Y) issue on 19.06.2006 and valid upto 01.08.2008 Vide C.No.15653 for Mfg of welding goods (rods)
	_
	BUA : 334.45 Sq.mtr.
Date of Commissioning : July, 2011
Water consumption: 200 ltr/day
Ground Water : NIL
Waste water generation: 
Domestic effluent : 100 ltr/day
Trade effluent: NIL
ETP: N/A
ECS: Cyclone proposed.
D.G.Set: NIL
	Recommended for grant of consent to establish. Subsequently, inspection be conducted. 
	Issue consent to establish. Subsequently, inspection be conducted. 

	17
	37317
	08-06-2011
	PARINA INTERNATIONAL
	PLOT NO 32-B, GALI NO 6
	FRIENDS COLONY INDUSTRIAL AREA
	ESTABLISH
	MANUFACTURING OF COSMETICS ITEMS.
	_
	16.03.2011: issue SCN u/s 21/22.
	Water Consumption ---- 50 liters/day
Ground Water ---- 0 liters/day
Built Up Area ---- 120 (in sq. meter)
CETP Membership ---- Jhilmil & Friends Colony Industrial Area CETP 
Society / Membership No ---- NO
Date of commissioning of project -Jan 2009. 
Waste Water generation 
  Domestic Effluent ---- 20 liters/day
  Trade Effluent ---- 0 liters/day
DG st: no.
SCN u/s 21/22. issued on 21.04.2011.
	Recommended for grant of consent to establish. 
	Issue consent to establish. 

	18
	37328
	10-06-2011
	INDLA PHA CHEM LTD.
	PLOT NO 270, FIE
	PATPARGANJ INDUSTRIAL AREA
	ESTABLISH
	MANUFACTURING OF PET BOTTLES/PERFORMS
	_
	_
	Water Consumption ---- 60 Kilo liters/day
Ground Water ---- 0 liters/day
Built Up Area ---- 280 (in sq. meter)
CETP Membership ---- Not Applicable
Date of commissioning of project -August 2011. 
Waste Water generation 
  Domestic Effluent ---- 30 Kilo liters/day
  Trade Effluent ---- 0 liters/day
DG set : nil
	Recommended for grant of consent to establish with the condition to provide hood & suction arrangement followed by a duct raised well above roof level (atleast 2.0 meter above roof level) to channelize the process emissions during plastic moulding / exruction operations. 
	Issue consent to establish with the condition to provide hood & suction arrangement followed by a duct raised well above roof level (atleast 2.0 meter above roof level) to channelize the process emissions during plastic moulding / extrusion operations. 

	19
	37334
	10-06-2011
	ROYAL ORCHID HOTELS LTD. (Tri color)
	NH-8, RAJOKRI, VILLAGE SAMALKHA
	NC-SW
	ESTABLISH
	Motel with 49 rooms
	_
	_
	BUA : 3211.98 sqm
Date of Commissioning : oct, 2011
Water consumption: 70 KLD (GW)
Ground Water : 70 KLD
Waste water generation: 
Domestic effluent : 15 KLD
Trade effluent: 35 KLD
DG set: 1X500 KVA  (Proposed)
Closure directions issued on 02.06.2011 to M/s Tricolor which were revoked after submission of bank guarantee of Rs. one lakh each under Air Act and water Act on 02.09.2011 by M/s Tricolor with an affidavit that M/s Royal Orchid Hotels Ltd. will be the tenant for operating the motel. 
	Recommended for grant of consent to establish. 
	Issue consent to establish. 

	20
	37335
	10-06-2011
	R.S. MOULDERS
	PLOT NO 75, POCKET-G, SECTOR-5, DSIDC
	BAWANA INDUSTRIAL AREA
	ESTABLISH
	Plastic products
	_
	_
	BUA : 100 sq. mtrs.
Date of Commissioning : Sept 2011
Water consumption: 100 ltr/day
Ground Water :Nil
Waste water generation: 
Domestic effluent : 80 ltr/day
Trade effluent: Nil
ETP: N.A
ECS: Channelization proposed. 
D.G.Set: Nil.
	Recommended for grant of consent to establish with the condition to provide hood & suction arrangement followed by a duct raised well above roof level (atleast 2.0 meter above roof level) to channelize the process emissions during plastic moulding / exruction operations. 
	Issue consent to establish with the condition to provide hood & suction arrangement followed by a duct raised well above roof level (atleast 2.0 meter above roof level) to channelize the process emissions during plastic moulding / extrusion operations. 

	21
	37337
	10-06-2011
	ACME CAST
	WH-76, PHASE-I
	MAYAPURI INDUSTRIAL AREA
	ESTABLISH
	Casting of Ferrous/ Non Ferrous Metal/ Alloys by using Pit Furnace.
	CTO : 29.04.2004 for casting by electric heated furnace. CTO (R) applied on 22.01.2008
	_
	BUA : 122 sqm
Date of Commissioning :1982
Water consumption: 50 LPD
Ground Water :NIL
Waste water generation: 
Domestic effluent :30 LPD
Trade effluent:NIL
D.G set : NIL
	Inspection be conducted. 
	Inspection be conducted. 

	22
	37339
	10-06-2011
	POMEY PLASTIC WORKS
	PLOT NO 213, POCKET-F, SECTOR-3, DSIDC
	BAWANA INDUSTRIAL AREA
	ESTABLISH
	Plastic products.
	_
	_
	BUA : 100 sq. mtrs.
Date of Commissioning : June 2011
Water consumption: 0.05 ltr/day
Ground Water :Nil
Waste water generation:
Domestic effluent : 0.03 ltr/day
Trade effluent: Nil
ETP: N.A.
ECS: Nil
D.G.Set: Nil.
	Recommended for grant of consent to establish with the condition to provide hood & suction arrangement followed by a duct raised well above roof level (atleast 2.0 meter above roof level) to channelize the process emissions during plastic moulding / exruction operations. 
	Issue consent to establish with the condition to provide hood & suction arrangement followed by a duct raised well above roof level (atleast 2.0 meter above roof level) to channelize the process emissions during plastic moulding / extrusion operations.  Also ask the unit to clarify the unrealistic low figure of water consumption indicated as 0.05 lt/day and to reconcile the water consumption figures. 

	23
	37340
	10-06-2011
	PGS FOOTWEARS PRIVATE LIMITED
	PLOT NO D-17
	UDYOG NAGAR INDUSTRIAL AREA
	ESTABLISH
	Mfg. of all kind of footwears.
	_
	_
	BUA : 300 sqm
Date of Commissioning :1st July, 2011
Water consumption:0.3 KLD
Ground Water :NIL 
Waste water generation: 
Domestic effluent :0.250 KLD
Trade effluent:NIL
D.G set : NIL
	Recommended for grant of consent to establish with the condition to provide hood & suction arrangement followed by a duct raised well above roof level (atleast 2.0 meter above roof level) to channelize the process emissions during plastic moulding / exruction operations. 
	Issue consent to establish with the condition to provide hood & suction arrangement followed by a duct raised well above roof level (atleast 2.0 meter above roof level) to channelize the process emissions during plastic moulding / extrusion operations. 

	24
	37342
	10-06-2011
	VIJAYA PLASTICS
	PLOT NO 236, POCKET-G, SECTOR-5, DSIDC
	BAWANA INDUSTRIAL AREA
	ESTABLISH
	Mfg. of PVC compound
	_
	_
	BUA : 90 sq. mtrs.
Date of Commissioning : Augt 2011
Water consumption: 500 ltr/day
Ground Water :Nil
Waste water generation: 
Domestic effluent : 400 ltr/day
Trade effluent: Nil
ETP: N.A
ECS: Nil 
D.G.Set: Nil.
	Recommended for grant of consent to establish with the condition to provide hood & suction arrangement followed by a duct raised well above roof level (atleast 2.0 meter above roof level) to channelize the process emissions during plastic moulding / exruction operations. 
	Issue consent to establish with the condition to provide hood & suction arrangement followed by a duct raised well above roof level (atleast 2.0 meter above roof level) to channelize the process emissions during plastic moulding / extrusion operations. 

	25
	37343
	10-06-2011
	SILVER OAK RESORT HOTEL (SILVER OAK CELEBRATIONS PVT. LTD.)
	KH. NO 63/82, MUNDKA VILLAGE,MAIN ROHTAK ROAD
	NC-W
	ESTABLISH
	Motel/ Resorts.
	_
	_
	BUA : 1 Bigha 
Date of Commissioning : Dec, 2010
Water consumption: 6.5 KLD
Ground Water :NIL 
Waste water generation: 
Domestic effluent : 1.5 KLD
Trade effluent: 5.0 KLD
D.G set : 125 KVA (Proposed)
	Recommended for grant of consent to establish. 
	File be put up administratively. 

	26
	37346
	13-06-2011
	PRIDE HOTELS LTD.
	ASSET - 5A, DELHI AEROCITY, INDIRA GANDHI INTERNATIONAL AIRPORT
	NC-SW
	ESTABLISH
	Proposed Hotel
	_
	_
	BUA : 33,927.53 sqm
Date of Commissioning : 10 july, 2010
Water consumption: 60 KLD (Construction phase), {(266+282 KLD) operational phase}
Ground Water :NIL 
Waste water generation: 
Domestic effluent : 217 KLD
Trade effluent: 65 KLD
D.G set : 2X1500 KVA (Proposed)
Decision of CMC(Orange) on 17.06.2011 : Inspection be conducted. 
	Decision taken on file for issuance of CTE subsequent to submission of the requisite affidavit be ratified. 
	Unit has submitted requisite affidavit and conent to esablish has been issued.  Decision taken on file ratified. 

	27
	37355
	13-06-2011
	RELEMAC TECNOLOGIES PVT. LTD..
	PLOT NO 65, POCKET-I, SECTOR-1, DSIDC
	BAWANA INDUSTRIAL AREA
	ESTABLISH
	PVC wire and cables
	_
	_
	BUA : 100 sq. mtrs.
Date of Commissioning : June 2011
Water consumption: 150 ltr/day
Ground Water :Nil
Waste water generation: 
Domestic effluent : 20 ltr/day
Trade effluent: Nil
ETP: No applicable. 
ECS: Nil
D.G.Set: Nil .
	Recommended for grant of consent to establish with the condition to provide hood & suction arrangement followed by a duct raised well above roof level (atleast 2.0 meter above roof level) to channelize the process emissions during plastic moulding / exruction operations. 
	Issue consent to establish with the condition to provide hood & suction arrangement followed by a duct raised well above roof level (atleast 2.0 meter above roof level) to channelize the process emissions during plastic moulding / extrusion operations. Also issue SCN u/s 21 of the Air Act and u/s 25/26 of the Water Act for operating without consent to operate. 

	28
	37359
	14-06-2011
	NARANG PLASTIC INDUSTRIES
	PLOT NO A-43, SECTOR-5, DSIDC
	BAWANA INDUSTRIAL AREA
	ESTABLISH
	Plastic products
	_
	_
	BUA : 200 sq. mtrs.
Date of Commissioning : Augt 2011
Water consumption: 550 ltr/day
Ground Water :Nil
Waste water generation: 
Domestic effluent : 100 ltr/day
Trade effluent: Nil
ETP: Not applicable. 
ECS: Nil 
D.G.Set: Nil
	Recommended for grant of consent to establish with the condition to provide hood & suction arrangement followed by a duct raised well above roof level (atleast 2.0 meter above roof level) to channelize the process emissions during plastic moulding / exruction operations. 
	Issue consent to establish with the condition to provide hood & suction arrangement followed by a duct raised well above roof level (atleast 2.0 meter above roof level) to channelize the process emissions during plastic moulding / extrusion operations. 

	29
	37360
	14-06-2011
	GAGAN PULSES (P) LTD.
	G-986, DSIDC
	NARELA INDUSTRIAL AREA
	ESTABLISH
	Processing & Mfg. of Dall.
	_
	_
	BUA : 359 Sq.mtrs.
Date of Commissioning : July,2011
Water consumption: 350 ltr/day
Ground Water : NIL
Waste water generation: 
Domestic effluent : 150 ltr/day
Trade effluent: NIL
ETP: N/A
ECS: N/A
D.G.Set: NIL
Earlier CTE issued on 04.05.2010 to Sagar Dall Mill at the same address. During inspection of Sagar DAll Mill on 03.02.2011, ECS was found non operational and SCN for closure was issued on 16.03.2011. 
	Ask the unit to clarify as to how it is separate entity from the M/s Sagar Dall Mill with documentary proof. 
	Ask the unit to clarify as to how it is separate entity from the M/s Sagar Dall Mill with documentary proof. 

	30
	37362
	14-06-2011
	TARRO INDUSTRIES
	PLOT NO 286-287, SECTOR-3, POCKET-D, DSIDC
	BAWANA INDUSTRIAL AREA
	ESTABLISH
	Zinc slider with electroplating and paitning
	_
	_
	BUA : 300 sq. mtrs.
Date of Commissioning : July 2011
Water consumption: 1500 ltr/day
Ground Water :Nil
Waste water generation: 
Domestic effluent : 300 ltr/day
Trade effluent: 1000 ltr/day
ETP: Proposed. 
ECS: Channelization proposed. 
D.G.Set: Nil 
	Recommended for grant of consent to establish. Subsequently, inspection be conducted. 
	Issue consent to establish. Subsequently, inspection be conducted. 

	31
	37363
	14-06-2011
	R.K. KHULLAR & CO,.
	C-203
	NARAINA INDUSTRIAL AREA PH-I
	ESTABLISH
	Mfg. of surgical & OT equipments
	_
	_
	BUA : 480sqm
Date of Commissioning : 1971
Water consumption: 0.2 KLD
Ground Water :NIL 
Waste water generation: 
Domestic effluent : 0.1 KLD 
Trade effluent: nil
D.G set : nil
Earlier CTO issued under green category valid upto 03.05.2005.
Applied for CTO_R under green category on 03.05.2005 vide applicatiokn no. 13866  and the same was made infructuous on 02.08.2010 & application dated 23.08.2010 under green category was refsued on as buffing was found and accordingly SCN for closure was issued on 19.04.2011.
CTE  & CTO under orange category applied on 14.06.2011 with adequacy report and test report for buffing activity within prescribed limit. 
	Ask the unit to submit bank guarantee of Rs. 50,000 under Air Act valid for one year. If unit submits the requisite bank guarantee, consent to establish be issued. 
	Ask the unit to submit bank guarantee of Rs. 50,000 under Air Act valid for one year. If unit submits the requisite bank guarantee, consent to establish be issued. 

	32
	37366
	14-06-2011
	WOK IN THE CLOUDS (A UNIT OF KTG HOTELS & RESORTS PVT. LTD.)
	J-2/13, B.K. DUTTA MARKET, RAJOURI GARDEN
	NC-W
	ESTABLISH
	Restaurant
	_
	_
	BUA : 175 sqm
Date of Commissioning : 2002
Water consumption: 5.0 KLD
Ground Water :NIL 
Waste water generation: 
Domestic effluent : 0.5 KLD
Trade effluent: 3.6 KLD
D.G set : 200 & 125 KVA (Proposed)
PGRC issued modified directions on 20.04.2011 after inspection. Unit submitted adequacy report on 27.04.2011 with MCD (Health) licence and NMR of D.G. Set.  
Bank guarantee of Rs. one lakh under Air Act and Water Act on 17.06.2011. 
	Recommended for grant of consent to establish. Subsequently, inspection be conducted. 
	Issue consent to establish. Subsequently, inspection be conducted. 

	33
	37371
	15-06-2011
	GALAXY FOOTWEAR PRIVATE LIMITED
	J-37
	UDYOG NAGAR INDUSTRIAL AREA
	ESTABLISH
	Mfg. of all kinds of footwears.
	_
	_
	BUA : 481 sqm
Date of Commissioning : 25th June, 2011
Water consumption: 0.5 KLD
Ground Water :NIL 
Waste water generation: 
Domestic effluent : 0.4 KLD
Trade effluent:NIL
D.G set : 125 KVA (Proposed)
	Recommended for grant of consent to establish with the condition to provide hood & suction arrangement followed by a duct raised well above roof level (atleast 2.0 meter above roof level) to channelize the process emissions during plastic moulding / exruction operations. 
	Issue consent to establish with the condition to provide hood & suction arrangement followed by a duct raised well above roof level (atleast 2.0 meter above roof level) to channelize the process emissions during plastic moulding / extrusion operations. 

	34
	37373
	15-06-2011
	GALAXY SPORTS SHOE CO. PVT. LTD.
	H-49
	UDYOG NAGAR INDUSTRIAL AREA
	ESTABLISH
	Mfg. of shoe- Making & Shoe Upper sitiching.
	_
	_
	BUA : 640 sqm
Date of Commissioning : 1st July, 2011
Water consumption: 0.5 KLD
Ground Water :NIL 
Waste water generation: 
Domestic effluent : 0.4 KLD
Trade effluent:NIL
D.G set : 125 KVA (Proposed)
	Recommended for grant of consent to establish. 
	Issue consent to establish. 

	35
	37374
	15-06-2011
	HARI PLASTICS
	PLOT NO B-34, IST FLOOR
	LAWRENCE ROAD INDUSTRIAL AREA
	ESTABLISH
	Mfg. of EVA Footwear.
	_
	_
	BUA : 100 Sq. mtrs.
Date of Commissioning : 07.06.2011
Water consumption: 200 ltr/day
Ground Water : NIL
Waste water generation: 
Domestic effluent : 100 ltr/day
Trade effluent: NIL
ETP: N/A 
ECS: N/A
D.G.Set: NIL
	Case be discussed before CMC(Orange) with old file/record. 
	File be put up administratively. 

	36
	37382
	15-06-2011
	NATIONAL ELECTRICAL
	A-4/1, GROUP, IIND FLOOR
	WAZIRPUR INDUSTRIAL AREA
	ESTABLISH
	Mfg. of Electrical Switches.
	CTO (P) applied on 15.06.2011 Vide Id.No.37383.
	_
	BUA : 400 Sq. mtr.
Date of Commissioning : July,2010
Water consumption: 20 ltr/day
Ground Water : NIL
Waste water generation: 
Domestic effluent : 10 ltr/day
Trade effluent: NIL
ETP: N/A
ECS: N/A
D.G.Set: NIL
	Case be discussed before CMC(Orange) with old file/record in which notice was issued. 
	File be put up administratively. 

	37
	37396
	17-06-2011
	KUSHAL SERVICES & MARKETING PVT. LTD.
	PLOT NO 315, FIE
	PATPARGANJ INDUSTRIAL AREA
	ESTABLISH
	Readymade garments with washing
	_
	_
	Water Consumption ---- 2500 liters/day
Ground Water ---- 0 liters/day
Built Up Area ---- 450 (in sq. meter)
CETP Membership ---- Not Applicable
Date of commissioning of project -02.05.2011. 
Waste Water generation 
  Domestic Effluent ---- 300 liters/day
  Trade Effluent ---- 1500 liters/day
DG set : nil.
ETP: No.
	Recommended for grant of consent to establish. Subsequently, inspection be conducted. 
	Issue consent to establish. Subsequently, inspection be conducted. 

	38
	37400
	17-06-2011
	BABU LAL PLASTIC GOODS
	B-113, SECTOR-1, DSIDC
	BAWANA INDUSTRIAL AREA
	ESTABLISH
	 
	 
	 
	BUA : 100 sq. mtrs.
Date of Commissioning : Sept 2011
Water consumption: 100 ltr/day
Ground Water :Nil
Waste water generation: 
Domestic effluent : 80 ltr/day
Trade effluent: Nil
ETP: N.A.
ECS: Nil 
D.G.Set: Nil .
	File be put up administratively. 
	File be put up administratively. 

	39
	37401
	17-06-2011
	SAT RATTAN ENGG. WORKS
	F-1862, DSIDC
	NARELA INDUSTRIAL AREA
	ESTABLISH
	Pressure Cooker parts with Electroplating.
	CTO (P) applied on 17.06.2011 Vide Id.no.37402.
	 
	BUA : 150 Sq. mtrs.
Date of Commissioning : July,2010
Water consumption: 800 ltr/day
Ground Water : 800 ltr/day
Waste water generation: 
Domestic effluent : 200 ltr/day
Trade effluent: 400 ltr/day
ETP: Proposed.
ECS: Nil
D.G.Set: NIL
Applied for authorization.
	Recommended for grant of consent to establish. 
	Issue consent to establish. Subsequently, inspection be conducted. 

	40
	37405
	20-06-2011
	JAI PADMAWATI CABLES
	PLOT NO 74, POCKET-H, SECTOR-5, DSIDC
	BAWANA INDUSTRIAL AREA
	ESTABLISH
	PVC coated wire and cable
	_
	_
	BUA : 80 sq. mtrs.
Date of Commissioning : Aug 2011
Water consumption: 600 ltr/day
Ground Water :Nil
Waste water generation: 
Domestic effluent : 100 ltr/day
Trade effluent: Nil
ETP: Not applicable. 
ECS: Nil 
D.G.Set: Nil.
	Recommended for grant of consent to establish with the condition to provide hood & suction arrangement followed by a duct raised well above roof level (atleast 2.0 meter above roof level) to channelize the process emissions during plastic moulding / exruction operations. 
	Issue consent to establish with the condition to provide hood & suction arrangement followed by a duct raised well above roof level (atleast 2.0 meter above roof level) to channelize the process emissions during plastic moulding / extrusion operations. 

	41
	37406
	20-06-2011
	PADMA SHREE CABLES
	PLOT NO 112, POCKET-A, SECTOR-5, DSIDC
	BAWANA INDUSTRIAL AREA
	ESTABLISH
	Manufacturing of PVC Coated wire and cable.
	_
	_
	BUA : 80 sq. mtrs.
Date of Commissioning : Aug 2011
Water consumption: 600 ltr/day
Ground Water :Nil
Waste water generation:
Domestic effluent : 100 ltr/day
Trade effluent: Nil
ETP: Not applicable. 
ECS: Nil 
D.G.Set: Nil.
	Recommended for grant of consent to establish with the condition to provide hood & suction arrangement followed by a duct raised well above roof level (atleast 2.0 meter above roof level) to channelize the process emissions during plastic moulding / exruction operations. 
	Issue consent to establish with the condition to provide hood & suction arrangement followed by a duct raised well above roof level (atleast 2.0 meter above roof level) to channelize the process emissions during plastic moulding / extrusion operations. 

	42
	37407
	20-06-2011
	ARIHANT PACKAGING INDUSTRIES
	PLOT NO 143, POCKET-D, SECTOR-5, DSIDC
	BAWANA INDUSTRIAL AREA
	ESTABLISH
	Plastic and PVC products (plastic tube)
	_
	_
	BUA : 80 sq mtr .
Date of Commissioning : Aug 2011
Water consumption: 600 ltr/day
Ground Water :Nil
Waste water generation: 
Domestic effluent : 100 ltr/day
Trade effluent: Nil
ETP: Not applicable.  
ECS: Nil 
D.G.Set: Nil.
	Recommended for grant of consent to establish without mfg of plastic bags with the condition to provide hood & suction arrangement followed by a duct raised well above roof level (atleast 2.0 meter above roof level) to channelize the process emissions during plastic moulding / exruction operations. 
	Ask the unit to categorically state whether mfg. of plastic bags will be carried out or not and submit an affidavit in this regard. 

	43
	37408
	20-06-2011
	HINDUSTAN PLASTICS
	PLOT NO 115, POCKET-L, SECTOR-5, DSIDC
	BAWANA INDUSTRIAL AREA
	ESTABLISH
	Plastic products (water purifier processed machine parts)
	_
	_
	BUA : 80 sq mtr.
Date of Commissioning : Sep 2011
Water consumption: 1000 ltr/ day
Ground Water : Nil 
Waste water generation:  
Domestic effluent : 200 ltr/ day
Trade effluent: Nil
ETP: Not applicable.  
ECS: Nil. 
D.G.Set: Nil.
	Recommended for grant of consent to establish with the condition to provide hood & suction arrangement followed by a duct raised well above roof level (atleast 2.0 meter above roof level) to channelize the process emissions during plastic moulding / exruction operations. 
	Issue consent to establish with the condition to provide hood & suction arrangement followed by a duct raised well above roof level (atleast 2.0 meter above roof level) to channelize the process emissions during plastic moulding / extrusion operations. 

	44
	37411
	20-06-2011
	MUKESH STEEL
	C-6
	WAZIRPUR INDUSTRIAL AREA
	ESTABLISH
	Re-Rolling of Stainless steel Sheet.
	_
	_
	BUA : 516.72 Sq. mtr.
Date of Commissioning : June,2011
Water consumption: 50 ltr/day
Ground Water : NIL
Waste water generation: 
Domestic effluent : 20 ltr/day
Trade effluent: NIL
ETP: N/A
ECS: N/A
D.G.Set: NIL
	File is under submission. 
	Issue consent to establish. Subsequently, inspection be conducted within 03 months. 

	45
	37412
	20-06-2011
	THE BRITISH SCHOOL
	DR. JOSE, P. RIZAL MARG, CHANAKYAPURI
	NC-ND
	ESTABLISH
	Complex is running of a school.
	_
	_
	BUA : 21521.0 Sq. mtrs.
Date of Commissioning : 2011
Water consumption: 95000 ltr/day
Ground Water : NIL
Waste water generation: 
Domestic effluent : 7000 ltr/day
Trade effluent: 90000 ltr/day
STP: Proposed. 
ECS: Nil
D.G.Set: 1 X 380 KVA & 2 X 750 KVA
	Ask the unit to submit environmental clearance. 
	Ask the unit to submit environmental clearance. 

	46
	37415
	21-06-2011
	BALVIR SINGH & SONS
	PLOT NO 9, POCKET-A, SECTOR-4, DSIDC
	BAWANA INDUSTRIAL AREA
	ESTABLISH
	Plastic product (auto parts)
	_
	_
	BUA : 100 sq. mtrs.
Date of Commissioning : July 2011
Water consumption: 200 ltr/day
Ground Water :Nil
Waste water generation:
Domestic effluent : 150 ltr/day
Trade effluent: Nil
ETP: Not applicable.  
ECS: Nil 
D.G.Set: Nil.
	Recommended for grant of consent to establish with the condition to provide hood & suction arrangement followed by a duct raised well above roof level (atleast 2.0 meter above roof level) to channelize the process emissions during plastic moulding / exruction operations. 
	Issue consent to establish with the condition to provide hood & suction arrangement followed by a duct raised well above roof level (atleast 2.0 meter above roof level) to channelize the process emissions during plastic moulding / extrusion operations. 

	47
	37416
	21-06-2011
	RAMA INDUSTRIES
	PLOT NO 118, POCKET-F, SECTOR-3, DSIDC
	BAWANA INDUSTRIAL AREA
	ESTABLISH
	Plastic product
	_
	_
	BUA : 100 sq. mtrs.
Date of Commissioning : July 2011
Water consumption: 200 ltr/day
Ground Water :Nil
Waste water generation: 
Domestic effluent : 150 ltr/day
Trade effluent: Nil
ETP: Not applicable.  
ECS: Nil 
D.G.Set: Nil.
	Recommended for grant of consent to establish with the condition to provide hood & suction arrangement followed by a duct raised well above roof level (atleast 2.0 meter above roof level) to channelize the process emissions during plastic moulding / exruction operations. 
	Issue consent to establish with the condition to provide hood & suction arrangement followed by a duct raised well above roof level (atleast 2.0 meter above roof level) to channelize the process emissions during plastic moulding / extrusion operations. 

	48
	37418
	21-06-2011
	MACDERMID INDIA PVT. LTD.
	C-44/4, GF, PHASE-II
	OKHLA INDUSTRIAL AREA
	ESTABLISH
	Dilute and packing the surface finishing additives for metal finishing industries
	_
	_
	BUA : 380 Sq,mtr
Date of Commissioning : Jan 2012
Water consumption:100 Lts/day
Ground Water : Nil
Waste water generation: 
Domestic effluent : 90 Lts/day
Trade effluent: Nil
ETP : N.A
ECS: N.A
D.G.Set: Nil
	Ask the unit to elaborate the chemical names of the compounds used as raw material along with the quantity and chemical formulae along with the detailed steps of the process involved. 
	Ask the unit to elaborate the chemical names of the compounds used as raw material along with the quantity and chemical formulae along with the detailed steps of the process involved. 

	49
	37420
	21-06-2011
	M.C.R. ENTERPRISES
	T-2/175, PHASE-I
	MANGOL PURI INDUSTRIAL AREA
	ESTABLISH
	Automobile workshop of two wheelers (without washing).
	_
	_
	BUA : 200 sq.mtrs.
Date of Commissioning : August,2011
Water consumption: 100 ltrr/day
Ground Water : 100 ltr/day
Waste water generation: 
Domestic effluent : 50 ltr/day
Trade effluent: NIL
ETP: N/A
ECS: N/A
D.G.Set: NIL 
Closure directions revoked after submission of bank guarantee.  Unit has closed its washing activity. 
	Recommended for grant of consent to establish. 
	Issue consent to establish. Subsequently, inspection be conducted. 

	50
	37422
	21-06-2011
	SRI KRISHNA WIRE PRODUCTS
	PROPERTY NO 426-431, FIRST FLOOR
	FRIENDS COLONY INDUSTRIAL AREA
	ESTABLISH
	COPPER WIRE DRAWING WITH SUPER ENAMELING.
	_
	_
	CTO: New activity.
Water Consumption ---- 100 liters/day
Ground Water ---- Nil.
Built Up Area ---- 100 (in sq. meter)
CETP Membership ---- Jhilmil & Friends Colony Industrial Area CETP 
Society / Membership No ---- NO
Date of commissioning of project ----Nov 2011. 
Waste Water generation 
  Domestic Effluent ---- 80 liters/day
  Trade Effluent ---- 0 liters/day
DG st: no.
SCN u/s 31(A) issued on 24.05.2011. Inspection conducted.
	Confirm closure directions. 
	Confirm closure directions. 

	51
	37423
	22-06-2011
	KANIKA WORLDWIDE PVT. LTD.
	A-190, PHASE-I
	OKHLA INDUSTRIAL AREA
	ESTABLISH
	Mfg. of readymade garments with washing
	Earlier  
CTE (Green) issued on 29.06.04 valid upto 28.06.05 vd CNO 10933.
CTO (Green) issued on 28.07.04 valid upto 05.07.09 vd CNO 11112.
	_
	BUA : 25,000 Sq.ft
Date of Commissioning :2004-05 & washing will start from 01.07.11
Water consumption: 7400 to 12400 Lt/da
Ground Water : Nil
Waste water generation: 
Domestic effluent : 1800 Lt/day
Trade effluent: 5000 to 10,000 Lt/day
ETP: Proposed
ECS:Nil
D.G.Set:  Yes ( 2x 125 KVa)
Unit is having 2 electric & 1 diesel fired boiler
	Recommended for grant of consent to establish. Subsequently, inspection be conducted. 
	Issue consent to establish. Subsequently, inspection be conducted. 

	52
	37426
	22-06-2011
	H.S. INDUSTRIES
	H-183, SECTOR-1, DSIDC
	BAWANA INDUSTRIAL AREA
	ESTABLISH
	Mfg. of PVC / Plastic compound and moulded goods and engg. Works
	_
	_
	BUA : 90 sq. mtrs.
Date of Commissioning : Sep 2011
Water consumption: 300 ltr/day
Ground Water :Nil
Waste water generation: 
Domestic effluent : 250 ltr/day
Trade effluent: Nil
ETP: Not applicable. l 
ECS: Nil 
D.G.Set: Nil.
	Recommended for grant of consent to establish with the condition to provide hood & suction arrangement followed by a duct raised well above roof level (atleast 2.0 meter above roof level) to channelize the process emissions during plastic moulding / exruction operations. 
	Issue consent to establish with the condition to provide hood & suction arrangement followed by a duct raised well above roof level (atleast 2.0 meter above roof level) to channelize the process emissions during plastic moulding / extrusion operations. 

	53
	37433
	23-06-2011
	BALA JI PLASTIC INDUSTRIES
	PLOT NO 37, POCKET-L, SECTOR-1, DSIDC
	BAWANA INDUSTRIAL AREA
	ESTABLISH
	Plastic products (moulded goods) without trade effluent and washing
	_
	_
	BUA : 60 sq. mtrs.
Date of Commissioning : Aug 2011
Water consumption: 500 ltr/day
Ground Water :Nil
Waste water generation: 
Domestic effluent : 100 ltr/day
Trade effluent: Nil
ETP: Not applicable.  
ECS: Nil 
D.G.Set: Nil.
	Recommended for grant of consent to establish with the condition to provide hood & suction arrangement followed by a duct raised well above roof level (atleast 2.0 meter above roof level) to channelize the process emissions during plastic moulding / exruction operations. 
	Issue consent to establish with the condition to provide hood & suction arrangement followed by a duct raised well above roof level (atleast 2.0 meter above roof level) to channelize the process emissions during plastic moulding / extrusion operations. 

	54
	37434
	23-06-2011
	FIESTA INDUSTRIES
	PLOT NO K-90
	UDYOG NAGAR INDUSTRIAL AREA
	ESTABLISH
	Mfg. of Footwear.
	_
	_
	BUA : 250 sqm
Date of Commissioning : 1st July, 2011
Water consumption: 0.3 KLD
Ground Water :NIL 
Waste water generation: 
Domestic effluent : 0.25 KLD
Trade effluent:NIL
D.G set : 125 KVA (Proposed)
	Recommended for grant of consent to establish with the condition to provide hood & suction arrangement followed by a duct raised well above roof level (atleast 2.0 meter above roof level) to channelize the process emissions during plastic moulding / exruction operations. 
	Issue consent to establish with the condition to provide hood & suction arrangement followed by a duct raised well above roof level (atleast 2.0 meter above roof level) to channelize the process emissions during plastic moulding / extrusion operations. 

	55
	37443
	24-06-2011
	JAGDAMBA STEEL
	A-74/2
	WAZIRPUR INDUSTRIAL AREA
	ESTABLISH
	Cold Re-rolling of Stainless Steel Sheet.
	_
	_
	BUA : 100 Sq.mtr.
Date of Commissioning : June, 2011
Water consumption: 20 ltr/day
Ground Water : NIL
Waste water generation: 
Domestic effluent : 100 ltr/day
Trade effluent: NIL
ETP: N/A
ECS: N/A
D.G.Set: NIL
	Issue SCN for refusal of consent to establish in view of closure directions enforced at the same premises for M/s J.S. Enterprises. Inspection may also be conducted, if the unit found operating effective closure through SDM. 
	Ask the unit to submit bank guarantee of Rs. One Lakh each under Air Act, Water Act and HWM Rules valid for one year. If unit submits the bank guarantee, electricity / water connection be restored for the changed activity i.e. cold rerolling for which consent has been applied in the name of M/s Jagdamba Steel vide ID no 37443 dated 24.06.2011. In case, unit complies submits the bank guarantee in compliance of aforesaid directions, consent to establish be also issued. 

	56
	37444
	24-06-2011
	SWAROOP HANDRAIL CORP
	B-5, GROUP
	WAZIRPUR INDUSTRIAL AREA
	ESTABLISH
	Pressing of S.S. Sheet.
	_
	_
	BUA : 50 Sq.mtr.
Date of Commissioning : July, 2011
Water consumption: 200 ltr/day
Ground Water : NIL
Waste water generation: 
Domestic effluent : 10 ltr/day
Trade effluent: NIL
ETP: N/A
ECS: N/A 
D.G.Set: NIL
	Inspection be conducted. 
	Inspection be conducted. 

	57
	37445
	24-06-2011
	GOLDEN GREEN
	F-16, PUSHPANJLI FARMS KH. NO 6/7,6/8,6/13,6/14,17/1 MIN AND 26, BIJWASAN VILLAGE
	NC-SW
	ESTABLISH
	Farm House "A Party Lawn"
	_
	_
	BUA : 2500 sqm
Date of Commissioning :May, 2011
Water consumption:5.0 KLD
Ground Water :NIL 
Waste water generation: 
Domestic effluent :0.5 KLD
Trade effluent:3.0 KLD
D.G set : NIL
	Recommended for grant of consent to establish. Subsequently, inspection be conducted. 
	Issue consent to establish. Subsequently, inspection be conducted. 

	58
	37446
	24-06-2011
	BHARTI PLASTIC
	T-2/204, PHASE-I
	MANGOL PURI INDUSTRIAL AREA
	ESTABLISH
	Mfg. of PVC Footwear.
	_
	_
	BUA : 200 Sq.mtr.
Date of Commissioning : August,2011
Water consumption: 100 ltr/day
Ground Water : NIL
Waste water generation: 
Domestic effluent : 50 ltr/day
Trade effluent: NIL
ETP: N/A
ECS: Nil
D.G.Set: Shall be installed.
	Recommended for grant of consent to establish with the condition to provide hood & suction arrangement followed by a duct raised well above roof level (atleast 2.0 meter above roof level) to channelize the process emissions during plastic moulding / exruction operations. 
	Issue consent to establish with the condition to provide hood & suction arrangement followed by a duct raised well above roof level (atleast 2.0 meter above roof level) to channelize the process emissions during plastic moulding / extrusion operations. 

	59
	37447
	24-06-2011
	OODLES RESIDENCY (A UNIT OF VESELKA ESTATES PVT. LTD.)
	R-26, NEHRU ENCLAVE, KALKAJI
	NC-S
	ESTABLISH
	Guest house consisting of 38 No. guest rooms with restaurant and Banqueting
	_
	_
	BUA : 1642 Sq. mts
Date of Commissioning : July, 2011
Water consumption: 12,000 Lt/day
Ground Water : Nil
Waste water generation: 
Domestic effluent : 1800 Lt/day on application form & 2.0 KLd on affidavit.
Trade effluent: 8000 Lt/day on application form & 10,000 Lt/day on affidavit.
ETP: Proposed
ECS:  Not applicable. 
D.G.Set: Yes (2x 125 KVa). 
Unit is having one diesel fired boiler.
	Recommended for grant of consent to establish. Subsequently, inspection be conducted. 
	Issue consent to establish. Subsequently, inspection be conducted. 

	60
	37451
	24-06-2011
	BALWANT RAI
	B-23, BASEMENT & GROUND FLOOR
	LAWRENCE ROAD INDUSTRIAL AREA
	ESTABLISH
	Mfg. of Plastic Dana & Mfg. of Plastic pipes.
	_
	_
	BUA : 989.97 sq.mtrs.
Date of Commissioning : Nov, 2010
Water consumption: 220 ltr/day
Ground Water : NIL
Waste water generation: 
Domestic effluent :10 ltr/day
Trade effluent: NIL
ETP: N/A
ECS: N/A
D.G.Set: NIL
As per the decision taken up by Competent Authority letter for submission of Bank Guarantee was sent on 20.07.2011.
Reply has been received on 25.08.2011 whereby the unit has submitted the bank Guarantee of Rs. 1 lakh under Air Act.
	Recommended for grant of consent to establish subject to the revocation of closure directions on file. 
	Closure directions have been revoked as confirmed by CMC officials. Issue consent to establish  with the condition to provide hood & suction arrangement followed by a duct raised well above roof level (atleast 2.0 meter above roof level) to channelize the process emissions during plastic moulding / extrusion operations. 

	61
	37452
	27-06-2011
	VISHWAKARMA PLASTIC MOULDINGS
	PLOT NO 193, BLOCK-D, SECTOR-5, DSIDC
	BAWANA INDUSTRIAL AREA
	ESTABLISH
	Mfg. of plastic products
	_
	_
	BUA : 50 sq. mtrs.
Date of Commissioning : Augt 2011
Water consumption: 100 ltr/day
Ground Water : 100 ltr/day
Waste water generation: 
Domestic effluent : 50 ltr/day
Trade effluent: Nil
ETP: Not applicable.  
ECS: Nil 
D.G.Set: Nil.
	Recommended for grant of consent to establish with the condition to provide hood & suction arrangement followed by a duct raised well above roof level (atleast 2.0 meter above roof level) to channelize the process emissions during plastic moulding / exruction operations. 
	Issue consent to establish with the condition to provide hood & suction arrangement followed by a duct raised well above roof level (atleast 2.0 meter above roof level) to channelize the process emissions during plastic moulding / extrusion operations. 

	62
	37453
	27-06-2011
	VICTORIA FOODS PVT. LTD.
	C-42/5
	LAWRENCE ROAD INDUSTRIAL AREA
	ESTABLISH
	Mfg. of Atta.
	_
	_
	BUA : 380 Sq.mtr.
Date of Commissioning : July,2011
Water consumption: 300 ltr/day
Ground Water : 300 ltr/day
Waste water generation: 
Domestic effluent : 150 ltr/day
Trade effluent: NIL
ETP: N/A
ECS: Proposed.
D.G.Set: NIL
	Recommended for grant of consent to establish. Subsequently, inspection be conducted. 
	Issue consent to establish. Subsequently, inspection be conducted. 

	63
	37458
	27-06-2011
	AGGARWAL ENTERPRISES
	A-28, DSIDC
	NARELA INDUSTRIAL AREA
	ESTABLISH
	Mfg. of PVC Footwears.
	_
	_
	BUA : 350n Sq. mtrs.
Date of Commissioning : July,2011
Water consumption: 200 ltr/day
Ground Water : NIL
Waste water generation: 
Domestic effluent : 100 ltr/day
Trade effluent: NIL
ETP: N/A. 
ECS: Nil
D.G.Set: NIL
	Recommended for grant of consent to establish with the condition to provide hood & suction arrangement followed by a duct raised well above roof level (atleast 2.0 meter above roof level) to channelize the process emissions during plastic moulding / exruction operations. 
	Issue consent to establish with the condition to provide hood & suction arrangement followed by a duct raised well above roof level (atleast 2.0 meter above roof level) to channelize the process emissions during plastic moulding / extrusion operations. 

	64
	37459
	27-06-2011
	MAYUR ENTERPRISES
	PLOT NO 4, POCKET-O, SECTOR-5, DSIDC
	BAWANA INDUSTRIAL AREA
	ESTABLISH
	Plastic products
	_
	_
	BUA : 200 sq mtr.
Date of Commissioning : Sep 2011
Water consumption: 220 ltr/ day
Ground Water : Nil 
Waste water generation:  
Domestic effluent : 150 ltr/ day
Trade effluent: Nil
ETP: Not applicable.  
ECS: Nil. 
D.G.Set: Nil
	Recommended for grant of consent to establish with the condition to provide hood & suction arrangement followed by a duct raised well above roof level (atleast 2.0 meter above roof level) to channelize the process emissions during plastic moulding / exruction operations. 
	Issue consent to establish with the condition to provide hood & suction arrangement followed by a duct raised well above roof level (atleast 2.0 meter above roof level) to channelize the process emissions during plastic moulding / extrusion operations. 

	65
	37461
	27-06-2011
	AUTO SHINES INDIA
	A-6
	JHILMIL INDUSTRIAL AREA
	ESTABLISH
	AUTO ACCESSORIES AND PARTS WITH SPRAY PAINTING
	CTO applied on 03.08.2011.
	 
	Water Consumption ---- 220 liters/day
Ground Water ---- 0 liters/day
Built Up Area ---- 505 (in sq. meter)
Date of commissioning of project Aug 2010.
Waste Water generation 
  Domestic Effluent ---- 150 liters/day
  Trade Effluent ---- 0 liters/day
	Recommended for grant of consent to establish. 
	Issue consent to establish. 

	66
	37464
	27-06-2011
	AGGARWAL PLASTIC
	PLOT NO 82, POCKET-B, SECTOR-1, DSIDC
	BAWANA INDUSTRIAL AREA
	ESTABLISH
	Plastic products
	 
	 
	Case has already decided in the CMC (O) held on 7-09-2011
	Implement the CMC(Orange) decision dated 07.09.2011
	CMC(Orange) decision dated 07.09.2011 implemented regarding issuance of consent to establish. No decision warranted in this meeting. 

	67
	37466
	27-06-2011
	BAYER INDIA
	PLOT NO 228, POCKET-J, SECTOR-1, DSIDC
	BAWANA INDUSTRIAL AREA
	ESTABLISH
	Rubber products
	_
	_
	BUA : 80 sq. mtrs.
Date of Commissioning : Aug 2011
Water consumption: 100 ltr/day
Ground Water :Nil
Waste water generation: 
Domestic effluent : 50 ltr/day
Trade effluent: Nil
ETP: Nil 
ECS: Nil 
D.G.Set: Nil
	Ask the unit to submit its status of SSI registration. 
	Ask the unit to submit its status of SSI registration. 

	68
	37468
	28-06-2011
	GOEL PLAST INDUSTRIES
	F-5, SECTOR-1, DSIDC
	BAWANA INDUSTRIAL AREA
	ESTABLISH
	Plastic products
	_
	_
	BUA : 200 sq. mtrs.
Date of Commissioning : Aug 2011
Water consumption: 300 ltr/day
Ground Water :300 ltr/day
Waste water generation:
Domestic effluent : 250 ltr/day
Trade effluent: Nil
ETP: Not applicable.  
ECS: Nil  
D.G.Set: Nil 
	Recommended for grant of consent to establish with the condition to provide hood & suction arrangement followed by a duct raised well above roof level (atleast 2.0 meter above roof level) to channelize the process emissions during plastic moulding / exruction operations. 
	Issue consent to establish with the condition to provide hood & suction arrangement followed by a duct raised well above roof level (atleast 2.0 meter above roof level) to channelize the process emissions during plastic moulding / extrusion operations. 

	69
	37469
	28-06-2011
	BAWANA PLAST INDUSTRIES
	F-6, SECTOR-1, DSIDC
	BAWANA INDUSTRIAL AREA
	ESTABLISH
	Plastic products
	_
	_
	BUA : 200 sq. mtrs.
Date of Commissioning : March 2011
Water consumption: 300 ltr/day
Ground Water : 300 ltr/day
Waste water generation: 1500 ltr./day
Domestic effluent : 250 ltr/day
Trade effluent: Nil
ETP: Not applicable.  
ECS: Nil 
D.G.Set: Nil
	Recommended for grant of consent to establish with the condition to provide hood & suction arrangement followed by a duct raised well above roof level (atleast 2.0 meter above roof level) to channelize the process emissions during plastic moulding / exruction operations. 
	Issue consent to establish with the condition to provide hood & suction arrangement followed by a duct raised well above roof level (atleast 2.0 meter above roof level) to channelize the process emissions during plastic moulding / extrusion operations.  Also issue SCN u/s 21 of the Air Act and u/s 25/26 of the Water Act for operating without consent to operate. 

	70
	37473
	28-06-2011
	BABA ROLLING MILLS
	B-32/2
	WAZIRPUR INDUSTRIAL AREA
	ESTABLISH
	Cold Re-rolling of Stainless Steel Sheet.
	CTO (P) applied on 24.03.2005 Vide Id.No.13208.
CTO (P) applied on 28.06.2011 Vide Id.No.37472.
	 
	BUA : 100 Sq.mtr.
Date of Commissioning : 2005
Water consumption: 20 ltr/day
Ground Water : NIL
Waste water generation: 
Domestic effluent : 10 ltr/day
Trade effluent: NIL
ETP: NIL 
ECS: NIL
D.G.Set: NIL
Inspection of unit was conducted on 14.06.2011:
Observations:
1. Unit is engaged in the activity of Cold re-rolling.
2. Unit has applied for CTO but not for CTE.
As per the decision taken up by Competent Authority SCN u/s 21/22 of the Air Act & u/s 25/26 of water Act was sent on 09.08.2011.
Reply has been received on 19.08.2011 stating that already applied for Consent to Establish/ Consent to operate.
	Recommended for grant of consent to establish. 
	Issue consent to establish. Also issue a warning not to operate the unit without consent under the provisions of Air Act and Water Act in future. 

	71
	37480
	29-06-2011
	SAINI ENGINEERING WORKS
	PLOT NO 39, POCKET-O, SECTOR-1, DSIDC
	BAWANA INDUSTRIAL AREA
	ESTABLISH
	Plastic goods
	_
	_
	BUA : 90 sq. mtrs.
Date of Commissioning : March 2011
Water consumption: 500 ltr/day
Ground Water :Nil
Waste water generation: 
Domestic effluent : 100 ltr/day
Trade effluent: Nil
ETP: Not applicable.  
ECS: Nil 
D.G.Set: Nil
	Recommended for grant of consent to establish with the condition to provide hood & suction arrangement followed by a duct raised well above roof level (atleast 2.0 meter above roof level) to channelize the process emissions during plastic moulding / exruction operations. 
	Issue consent to establish with the condition to provide hood & suction arrangement followed by a duct raised well above roof level (atleast 2.0 meter above roof level) to channelize the process emissions during plastic moulding / extrusion operations.  Also issue SCN u/s 21 of the Air Act and u/s 25/26 of the Water Act for operating without consent to operate. 

	72
	37485
	29-06-2011
	MADOON'S INDUSTRIES
	F-2760, DSIDC
	NARELA INDUSTRIAL AREA
	ESTABLISH
	Tooth Brush manufacturing and palstic handles.
	_
	_
	BUA : 10 sq.mtrs.
Date of Commissioning : 01.07.2011
Water consumption: 5000 ltr/day
Ground Water : 50 ltr/day
Waste water generation: 
Domestic effluent : 25000 ltr/day
Trade effluent: 25000 ltr/day
ETP: N/A
ECS: N/A
D.G.Set: 10 KVA
	Recommended for grant of consent to establish with the condition to provide hood & suction arrangement followed by a duct raised well above roof level (atleast 2.0 meter above roof level) to channelize the process emissions during plastic moulding / exruction operations. 
	Ask the unit to submit fresh affidavit in prescribed format  with reconcillation of the figures w.r.t. Built up area, water consumption, domestic effluent & trade effluent  as the data mentioned in the affidavit and the consent application is not matching. 

	73
	37487
	29-06-2011
	SHANTI INDUSTRIES
	PLOT NO 225, POCKET-M, SECTOR-3, DSIDC
	BAWANA INDUSTRIAL AREA
	ESTABLISH
	Plastic products
	_
	_
	BUA : 64 sq. mtrs.
Date of Commissioning : Aug 2011
Water consumption: 150 ltr/day
Ground Water :Nil
Waste water generation: 
Domestic effluent : 20 ltr/day
Trade effluent: Nil
ETP: Not applicable.  
ECS: Nil 
D.G.Set: Nil.
	Recommended for grant of consent to establish with the condition to provide hood & suction arrangement followed by a duct raised well above roof level (atleast 2.0 meter above roof level) to channelize the process emissions during plastic moulding / exruction operations. 
	Issue consent to establish with the condition to provide hood & suction arrangement followed by a duct raised well above roof level (atleast 2.0 meter above roof level) to channelize the process emissions during plastic moulding / extrusion operations. 

	74
	37488
	30-06-2011
	B.R. ALUMINIUM
	PLOT NO S-55, PHASE-I
	BADLI INDUSTRIAL ESTATE
	ESTABLISH
	Mfg. of Aluminium Circle.
	_
	_
	BUA : 560 Sq.mtrs.
Date of Commissioning : August,2011
Water consumption: 100-150 ltr/day
Ground Water : NIL
Waste water generation: 
Domestic effluent : 80-120 ltr/day
Trade effluent: NIL
ETP: N/A
ECS: N/A
D.G.Set: NIL
	Inspection be conducted to check the furnace.
	Inspection be conducted to check the furnace.

	75
	37489
	30-06-2011
	AT HOME INDIA PVT. LTD.
	F-29/4, PHASE-II
	OKHLA INDUSTRIAL AREA
	ESTABLISH
	Mfg. of Home furnishing items with washing
	Earlier 
CTE( Green) isssued on 26.12.02 valid upto 23.12.03 vd CNO 2616.
CTE (Orange) applied on 05.02.08 vd ID 24876.
CTO ( orange) applied on 30.06.11 vd ID 37490.
	      12.2.2010/ 15.2.2010 
    ( In earlier CTE File)
Issue SCN u/s 33(A) of the Water Act.    
          26.5.2010
     (In earlier CTE file) 
decision taken on the file for issing the closure u/s 33 (A)  of water Act retified.
      13.08.10
     (In earlier CTE file) 
Ask the unit to submit bank guarantee of Rs. One lakh under the Water Act valid for one year
	BUA : 860 Sq. mts
Date of Commissioning : Oct, 2009
Water consumption:4,500 Lt/day. Ground Water : Nil
Waste wataer generation: 
Domestic effluent : 1000 Lt/day on application form & 1400 Lt/day on affidavit.
Trade effluent: 2100 Lt/dayon application form & 2000 Lt/day on affidavit.
ETP: Yes. ECS: N/a
D.G.Set: Yes (82.5 KVA)
Unit is having one boiler.
As decided by CMC dated 13.08.10, letter issued on 29.09.10 to submit BG of Rs. one Lakh under Water Act valid for one year. Unit has submitted a letter on 22.02.11 requested that they shall submit the required documents for applying CTO (orange) within 15 days.
As per approval by competant authority, letters were issued on 16.05.11 to concerned authorities of DJB, BSES and MCD.
Unit has submitted a letter dated 30.05.11.
As per approval by competant authority, letter was issued on 21.06.11 to submit BG of one lakh under Water Act valid for one year and also submit the CTO application .
Unit has submitted BG on 24.06.11.
Unit has again submitted a letter dated 30.06.11 requesting to revoke the closure notice along with receipt of CTE & CTO application applied. 
As per approval by competant authority, 
Revocation of closure directiojn u/s 33 (A) 
issued on 01.07.11
	Consent to Establish dated 05.02.2008 be made infructuous. Recommended for consent to establish w.r.t present application dated 30.06.2011.
	Consent to Establish dated 05.02.2008 made infructuous. Issue consent to establish w.r.t present application dated 30.06.2011.

	76
	37492
	30-06-2011
	AVS PLASTICS
	PLOT NO 95, POCKET-H, SECTOR-5, DSIDC
	BAWANA INDUSTRIAL AREA
	ESTABLISH
	PVC and Plastic moulded goods (without trade effluent)
	_
	_
	BUA : 90 sq. mtrs.
Date of Commissioning : Augt 2011
Water consumption: 500 ltr/day
Ground Water : Nil
Waste water generation: 
Domestic effluent : 100 ltr/day
Trade effluent: Nil
ETP: Not applilcable. 
ECS: Nil 
D.G.Set: Nil
	Recommended for grant of consent to establish with the condition to provide hood & suction arrangement followed by a duct raised well above roof level (atleast 2.0 meter above roof level) to channelize the process emissions during plastic moulding / exruction operations. 
	Issue consent to establish with the condition to provide hood & suction arrangement followed by a duct raised well above roof level (atleast 2.0 meter above roof level) to channelize the process emissions during plastic moulding / extrusion operations. 

	77
	37498
	30-06-2011
	AKSHAT GUPTA
	PLOT NO B-71/1-G
	LAWRENCE ROAD INDUSTRIAL AREA
	ESTABLISH
	Mfg. of Plastic Products (Moulded Goods) w/o Trade Effluent.
	_
	_
	BUA : 142.12 Sq. mtrs.
Date of Commissioning : Aug,2011
Water consumption: 300 ltr/day
Ground Water : 300 ltr/day
Waste water generation: 
Domestic effluent : 100 ltr/day
Trade effluent: NIL
ETP: N/A
ECS: N/A
D.G.Set: NIL 
	Recommended for grant of consent to establish with the condition to provide hood & suction arrangement followed by a duct raised well above roof level (atleast 2.0 meter above roof level) to channelize the process emissions during plastic moulding / exruction operations. 
	Issue consent to establish with the condition to provide hood & suction arrangement followed by a duct raised well above roof level (atleast 2.0 meter above roof level) to channelize the process emissions during plastic moulding / extrusion operations. 

	78
	37499
	30-06-2011
	S.K. ENTERPRISES
	PLOT NO 143, POCKET-J, SECTOR-3, DSIDC
	BAWANA INDUSTRIAL AREA
	ESTABLISH
	Printing greeting cards, PVC dana, plastic products and engg. Works
	_
	_
	BUA : 80 sq. mtrs.
Date of Commissioning : July 2011
Water consumption: 150 ltr/day
Ground Water :Nil
Waste water generation:
Domestic effluent : 50 ltr/day
Trade effluent: Nil
ETP: Not applicable. 
ECS: Nil 
D.G.Set: Nil 
	Recommended for grant of consent to establish with the condition to provide hood & suction arrangement followed by a duct raised well above roof level (atleast 2.0 meter above roof level) to channelize the process emissions during plastic moulding / exruction operations. 
	Issue consent to establish with the condition to provide hood & suction arrangement followed by a duct raised well above roof level (atleast 2.0 meter above roof level) to channelize the process emissions during plastic moulding / extrusion operations. 


