 Minutes of the 132nd meeting of the Committee Constituted for Deciding the Consent under Orange Category, held on 06.01.2010 in the Conference Room of Chairman, DPCC.

   The following persons attended the meeting:

Sh. Dharmendra, Chairman, DPCC

Dr. A.K.Ambasht, Member Secretary, DPCC

Prof. S. K. Gupta, IIT-Delhi.

Sh. M. Dwarakanth, SSO, Dept. of Env,. GNCTD 

Sh. B. Kumar, SEE, DPCC

EEs of CMC –  I, II & III.


AEEs of CMC –  I, II, III & IV.


Following decisions were taken in the said meeting:- 

Agenda Item No. 1- 75 number Consent to Establish cases in non industrial areas w.e.f. 24.06.2004 considered by Scrutiny Committee on 24.11.2009 / 01.12.2009. 

Decisions taken with respect to 40 cases of this agenda are tabulated and annexed as Annexure – 1. Remaining cases of this agenda could not be taken up by the Committee, due to paucity of time, and it was decided to take up the same in the next CMC meeting.

While considering these cases, the Committee opined that the cases of non industrial area which includes construction / shopping mall projects should be considered on regular basis. 

Agenda Item No. 2- Farm House cases. 

Decisions taken with respect to this agenda are tabulated and annexed as Annexure – 2.

Agenda Item No. 3- Permissibility under Master Plan of Delhi -2021 for setting up of micro brewery in NCT of Delhi, representation of DIAL regarding.

Ask the applicant / Department of Excise, Govt. of NCT of Delhi to submit the opinion of the CPCB.
Meeting ended with thanks to the chair.

	Sl. No 
	ID No
	appl_dt
	firm_name
	firm_address
	area_name
	Proposed  Activity/ Product
	Earlier CMC Decisions  
	ATR / Remarks
	Recommendations of Scrutinizing Committee on 24.11.2009 / 01.12.2009.
	Decision on 06.01.2010

	1
	10867
	24-06-2004
	OBERAI SERVICE STATION
	S-19, GREEN PARK EXTENTION, MEHRAULI ROAD
	NC-S
	 
	                     16.03.2009
Ask the unit to apply a fresh Consent to Operate, permission from Central Ground Water Authority for extracting the ground water and fresh adequacy report of ETP from approved consultantsof DPCC.Call on 29.04.2009.
                    11.05.2009
Paste the letter on the premises. Call on 24.06.2009
                      24.06.2009
Ask the unit to file an affidavit regarding closure of service station. Call on 26.08.2009
	Service Station is closed as per inspection done by DPCC. 
	Recommended for making the Consent to Establish infructuous as unit is closed.
	Consent refused as unit is closed.

	2
	13401
	05-04-2005
	GALLERIA PROPERTY MANAGEMENT SERVICES PVT. LTD
	DT CITY CENTRE, BLOCK-A, COMMUNITY CENTRE SITE, SHALIMAR BAGH
	NC-NW
	Shopping mall cum multiplex
	09.04.09-The unit came for personal hearing today. It still has certain deficiencies which have not been corrected. A final inspection may be done by SIT-I and submitted to CMC. Call on 05.05.2009 

SIT Inspection conducted on 30.04.2009

06.05.2009
In response to the SCN issued, the unit claims that it has complied with the conditions but recent SIT inspection dated 30.04.2009, it was noticed that the borewell is still not dismantled. The unit is hereby directed to dismantle the borewell immediately since it contends taking the entire water from the tanker. As observed pipe carrying floor washing water / any waste water be disconnected from the rain water harvesting system in order to avoid contamination of ground water.  Call on 12.06.2009

12.06.2009- Issue final reminder.
	CTE applied on 25.09.07
Letter to dismental the bore well and to disconnect the pipe carrying floor washing water from rain water harvesting system issued on 21.05.09
Reply received on 12.06.09 regarding the compliance of CMC decision.
Unit submitted its reply on 11.06.2009 stating that:
(a) Inlet pipes of borewell have been dismantled.
(b) One dedicated sump has been constructed for basement washing 
Reply submiited dated 24.09.2009, Test report for ETP & stack.
	Application be made infructuous in view of subsequent application dated 25.09.2007 and file be linked with file vide I.D. No 23628
	Implement the Scrutinizing Committee decision.

	3
	13486
	08-04-2005
	THE CHIEF ARCHITECH, MCD CIVIL CENTRE
	JAWAHAR LAL NEHRU ROAD, MINTO ROAD
	NC-ND
	Office building
	                   06.11.2008
Isue final reminder. Call on 03.12.2008
                     03.12.2008
MS to speak to MCD and ask them to file the affidavit of itemwise compliance of Environmental Clearance's conditions by 14.01.2009. Call on 14.01.2009
                          14.01.2009
Issue final reminder. Call on 04.03.2009
04.03.2009-MS to speak and get the reply. Call on 09.04.2009
15.06.2009- Ask the unit to file DJB clearance for borewell & enclosure of its letter dated 08.04.2009 i.e six monthly monitoring report which has not being received.
Letter issued on 07.07.2009.
No reply received.
	EC submitted on 18.07.2007
Reply submitted dated 13.04.2009, compliance affidavid regarding EC conditions.
	Recommended for grant of Consent to Establish.
	Call for personal hearing in next CMC meeting.

	4
	13777
	27-04-2005
	REGENCY PARK MANAGEMENT SERVICES PVT. LTD (SHOPPING MALL)
	PLOT NO-4, VASANT KUNJ
	NC-SW
	Shopping Complex
	Decision on 11.05.09
A show notice for closure may be issued to the unit in view of the following deficiencies found in the latest SIT inspection: 
(i) Sludge transfer pumps found removed. (ii) Flow meter reading not mentioned in the logbook. (iii) Pipes carrying floor washing water/ any waste water needs to be disconnected from rain water harvesting pits in order to avoid ground water contamination. (iv) No supporting drawing for installation of settling tank / oil & grease trap of rain water harwesting system could be made available during inspection. (v) No composting facility found existing for wet garbage. (vi) No information regarding the report on energy conservation could be provided during inspection.
Decisio on 15.06.09
As per the affidavit dated 17.04.2009, it has been stated that there is no discharge of 
domestic sewage due to 100 % recycling of treated effluent. Treated effluent will be 
recycled / reused for toilet flushing, air conditioning and horticulture whereas adequacy 
report is silent on this aspect. Unit be also asked to obtain the modified adequacy report 
clearly certifying that 100 % recycling of treated effluent is being done and effluent is not
 discharged outside the premises. Unit be also asked to confirm on affidavit about the details 
of industrial effluent recycling. Call on  12.08.2009
	Applied for CTE on 27.04.05.Further applied for CTE again on 25.09.07
Environmental Clereance dated 24.11.06 and compliance affidavite  submitted.
The unit filed a writ before Hon'ble High Court.
Counter affidavit filed
SIT inspected on 18.08.08
SCN for closure issued on 06.10.08.
Unit has applied for CTO on 20.04.09.
As advised by the advocate SIT-I inspected the unit on 01.05.09.
As per CMC decision dated 15.06.09 letter was issued on 02.07.09.
reply awaited.
	Application be made infructuous in view of subsequent application dated 25.09.2007 and file be linked with file vide I.D. No 23627.
	Implement the Scrutinizing Committee decision.

	5
	13810
	29-04-2005
	SELECT CITYWALK (SHOPPLING MALL)
	PLOT A-3&P1B, DISTRICT CENTRE, SAKET
	NC-S
	 
	                           23.04.2009
 Ask the unit to file the architectural drawing, Adequacy Report of ETP, to install solar water heating and to apply for  for authorization under HWM Rules. Also, ask the unit to comply the conditions at Sl. No (ii) & (vii) in construction phase and Sl. No (iii), (iv), (vii) to (xi), (xiii) & (xiv) in operational phase, stipulated in Environmental Clearance.Call on 03.06.2009.
In view of the above deficiencies, our advcoate may be advised to pursue this case with alertness because the proseuction proceedings should never be quashed. 
                         03.06.2009
Issue final reminder for full compliance. Call on 22.07.2009
	DPCC filed a case against unit for starting its activity without obatining EC and CTE.
Now EC obtained.
Unit replied on 22.07.09 stating that Solar water heating system installation is under process. Adequacy report submitted. Authorization under HWM applied.
Area- 24174.66 sq. mtr.
Matter subjudice.
	Inspection be conducted to know the present status.
	Inspection be conducted by SIT to know the present status.

	6
	14310
	03-06-2005
	DLF UNIVERSAL LIMITED
	PLOT NO.A-4, & P-1A, SAKET PLACE, NEW DELHI-17
	NC-S
	 
	                                12.03.2009
The SIT- I & SIT-II inspection report may be carefully studied and case be submitted administratively covering all the points within a week without waiting for the minutes.
                                 20.03.2009
Advocate be consulted and appropriate action with draft order be put up in CMC on 25.03.2009. Call on 25.03.2009.
                                25.03.2009
File be put up administratively without waiting for minutes.
                             23.04.2009
A written explanation of the ALO-I as to why the order has not been implemented. File may be sent to Sh. Vidhey to immediately get the vacation of the stay and confirm to DPCC in writing. Call on 08.05.2009
                             11.05.2009
Ask the advcoate to expedite the vacation of the stay. Call on 22.05.2009
                            15.06.2009
Call on 12.08.2009
	The opinion of advocate has been taken for stay.
EC obtained. Area is more than 20,000 sqmt.
Matter subjudice.
	Matter subjudice.
	Application be made infructuous in view of subsequent application dated 25.09.2007 and file be linked with file vide I.D. No 23629.

	7
	14311
	03-06-2005
	BEVERLY PARK MAINTENANCE SERVICE LTD.
	PLOT NO.3, VASANT KUNJ SHOPPING MALL, VASANT KUNJ, PHASE-II NEW DELHI
	NC-SW
	Shopping complex
	                                11.05.09
In this case, the CMC unanimously decided that since the unit is operating without being granted consent to operate and since the unit is running with an under capacity STP despite order of MoEF for a 150 KLD STP and since the unit has not filed monitoring report from DPCC approved laboratory, the unit may be informed that it will be prosecuted against within 10 days as per the Hon’ble  High Court order dated 28.05.2008. The unit may be informed about this immediately and prosecution may be implemented exactly after the delivery of the notice which should be by hand. Letter may be shown administratively and also to the advocate in next two days before issue. The prosecution order be drafted by advocate within this week. Call on 22.05.2009
                                        22.05.09
Since the advocate has suggested that the letter received from DLF must be examined on merits and since this is a very lengthy letter, let the file be submitted administratively after proper careful examination of the letter by Sh. B. Kumar, SEE.
                                       12.06.09 
File be re examined and submit administratively.
                                          22.07.09
File be put up administratively with a legal examination.
	AS per CTE application dated 03.06.05
GW NIL
Trade Effluent NIL
DG Set 5 X 1010 KVA 
& 2 X 750 KVA

As per CTE application dated 25.09.07 for the activity of Commercial and Retail.
GW : Nil
STP proposed.
DG Set : 2 X 1750 KVA
1 X 1500 KVA

Unit applied for CTO Vide ID no. 29584 on 20.04.09
 Adequacy report submitted on 11.05.09
	Application be made infructuous in view of subsequent application dated 25.09.2007 and file be linked with file vide I.D. No 23625.
	Implement the Scrutinizing Committee decision.

	8
	16518
	23-09-2005
	HOTEL KANISHKA (UNIT OF M/S HOTEL EXCELSIOR LTD.)
	19, ASHOK ROAD
	NC-ND
	Five star hotel
	 
	Trade effluent-125KLD
Application has already been decided on 10.10.2005.
	May be delisted as application has already been decided on 10.10.2005.
	Already decided in 2005 to be delisted from the list.

	9
	16637
	03-10-2005
	SUNCITY PROJECT PRIVATE LIMITED
	N-49, FIRST FLOOR, CONNAUGHT PLACE
	NC-SW
	 
	 
	 
	Application be made infructuous in view of subsequent application dated 04.07.2007 and file be linked with file vide I.D. No 22181
	Implement the Scrutinizing Committee decision.

	10
	16640
	03-10-2005
	JASMINE PROJECTS PRIVATE LIMITED
	PLOT NO.1, SHOPPING MALL, VASANT KUNJ, PHASE-II
	NC-SW
	Office complex
	                      16.02.09
SIT inspected and found the following deficiencies :
(i) Proper working / inspection platform with approach ladder should be installed in the STP area. 
(ii) Unit should install separate garbage collection and segregation room in the building. Garbage room cleaning / washing water should be channelized to STP. Unit should also clarify the reuse of treated waste water.
(iii) Stack height of 125 KVA D.G. Set should be raised as per the norms. 
(iv) No information provided regarding energy conservation report. 
Ask the unit to correct the above deficiencies and submit an affidavit by 25.03.2009. Call on 25.03.2009                   
                   25.03.2009
Issue consent to operate. Ask the unit to submit all the requisite air / water monitoring report from approved laboratory of DPCC within 1 month. Call on 05.05.2009
                           06.05.2009
Ask the unit to submit all the requisite air / water monitoring report from approved laboratory of DPCC. Call on 12.06.2009.
                         
	CTE issued on 06.11.08 valid upto 05.11.09.
davit for change of name submitted on 01.12.08.

Unit has applied for CTO on 03.12.2008 vide ID 28272

GW NIL
Trade Effluent NIL
DG Set 2 X 1250 KVA 
	Consent to Establish already issued w.r.t. the subsequent application for Consent to Estabilsh on 06.11.2008. Recommended for making this Consent to Establish application infructuous. Inspection be conducted to know the present status e.g. operation of pollution control devices.
	Consent to Establish application be made infructuous. Inspection be conducted by SIT  to know the present status e.g. operation of pollution control devices.

	11
	17027
	18-11-2005
	EXECUTIVE ENGINEER (CD-III), CPWD
	 Phase-II , Pushpa Bhawan, Pushp Vihar, Delhi
	NC-S
	 
	                04.03.2009
Ask the unit to apply for Consent to Establish and itemwise compliance affidavit of Environment Clearance's conditions. MS to speak to concerned in CPWD to get the matter expedited. Call on 09.04.2009
                  09.04.2009
Issue final reminder. Call on 19.05.2009
                 15.06.2009
Issue reminder. Call on 12.08.2009
	Final reminder issued to apply for Consent to Establish and itemwise compliance affidavit of Environment Clearance's conditions.  
Reply awaited.
Area-88742 square mt
	Inspection be conducted to know the present status.
	Call for personal hearing in next CMC meeting.

	12
	17168
	05-12-2005
	DELHI-NCT WASTE MANAGEMENT PROJECT (A DIV. OF RAMKY ENVIRO ENGINEERS LTD.)
	NEAR CETP WAZIRPUR
	NC-NW
	 
	 
	 
	File be put up administratively.
	Inspection be conducted and put up administratively.

	13
	17255
	16-12-2005
	GENERAL POOL OFFICE COMPLEX
	SUB CBD, SHAHDRA
	NC-E
	Office Building
	                  02.04.2009
SIT-I to inspect and report. Call on 12.05.2009
                   12.06.2009
On CMC’s decision dated 04.03.2009, it was decided to issue Consent to Establish. However, same could not be issued because it was found that environmental clearance has not been obtained despite the covered area is more than 20,000 sqm. Hence CMC’s decision dated 04.03.09 is modified and unit be asked to submit environmental clearance and correct the deficiencies observed by SIT during the inspection. The name of the unit be listed as per CTE application. Call on 05.08.2009
	No application was available in the file. However, the unit has again submitted CTE application on 03.03.2009
	Application be made infructuous in view of subsequent application dated 03.03.009 and file be linked with file vide I.D. No 29148
	Implement the Scrutinizing Committee decision.

	14
	17288
	20-12-2005
	CONST. OF MULTI SUPER SPECIALTY HOSPITAL
	A-BLOCK, SHALIMAR BAGH
	NC-NW
	 
	 
	 
	Case be shifted to BMW Cell.
	Implement the Scrutinizing Committee decision.

	15
	17290
	20-12-2005
	REDEVELOPMENT OF GPRA
	ALIGANJ, JORBAGH
	NC-S (File was marked to New-Delhi dist.)
	 
	                14.01.2009
Ask the unit to apply for Consent to Establish. Call on 04.03.2009 with compliance affidavit of environmenetal clearance's conditions.
                04.03.2009
Issue final reminder. Call on 09.04.2009
                09.04.2009
Issue final reminder. Call on 19.05.2009
               15.06.2009
Suitable reply be sent by the cell. Call on 12.08.2009
	Final reminder issued to apply for CTE and to submit itemwise compliance affidavit of environmental clearance.
Reply awaited.
Area-67376.6 sqm.
	Inspection be conducted to know the present status.
	Call for personal hearing in next CMC meeting.

	16
	17450
	05-01-2006
	EXEN. HPD-1, CPWD FOR THE CONST. OF GENERAL POOL OFFICE ACCOMMODATION
	PUSHPA BHAWAN, PHASE-II, PUSHP VIHAR,
	NC-S
	 
	SCN for refusal of consent issued on 10.02.06
Refusal of Consent issued on 28.03.06
Reply recived along with EC from MoEF
	 
	Inspection be conducted to know the present status.
	Call for personal hearing in next CMC meeting.

	17
	17880
	03-03-2006
	DMRC
	I.T. PARK, SHASTRI PARK, G.T. ROAD
	NC-NE
	Office Complex
	                     12.03.2009
The unit came for personal hearing today. The unit is directed to file the following:-

(a) Latest adequacy report of the 650 KLD capacity STP from any of the empanelled agencies of DPCC.
(b) Water mass balance chart.
(c) Technical proof and drawing showing that the entire treated waste water will be used in adjoining DMRC depot and other premises which will be inspected by SIT before granting any relief.

Call on 22.04.2009.
                         03.06.2009
Ask the unit to submit adequacy report and to furnish water balance chart for plot no 1. Call on 22.07.2009
	Reminder issued asking the unit to file adequacy report of STp, water balance chart, technical proof showing that entire treated waste water will be used in adjoining DMRC Depot.

No reply received
	Issue reminder for adequacy report from empanelled consultant of DPCC.
	Case be considered after implementation of decision of Scrutinizing Committee.

	18
	17882
	03-03-2006
	PROSPEROUS ESTATE PVT. LTD.
	I & 2, ISWAR NAGAR, NEW DELHI (NEW CONSTRUCTION OF OFFICE COMPLEX)
	NC-S
	 
	                        23.12.2008
The unit came for personal hearing today.  It has filed an adequacy report for  STP of 80 KLD capacity. Since, the unit has installed an STP which is operational and found OK, it falls in the newly created fourth category of the cases and therefore unit may be directed to pay 0.5 % of the project cost by way of environmental damages which comes to Rs. 15 Lakhs and 1 % of project cost by way of Bank Guarantee valid for three years which comes to Rs. 30 Lakhs. The unit is directed to comply with these conditions by 21.01.2009 and also apply for Consent to Operate. Since it is a running unit, Consent to Establish and Consent to Operate applications will be decided on 21.01.2009. Call on 21.01.2009.
                        21.01.2009
Call on 28.01.2009
                            02.02.2009
File be submitted administratively with the court order within a week.            
	Letter issued on 07.01.2009 regarding submission of Environmental Damages  of 0.5 % of the project cost and Bank Guarantee of 1 % of the project cost by 21.01.2009 and also to apply for CTO.
No reply received in this regard. 
Closure direction issued
Area-14838metre square
Matter subjudice, Eds Rs.15.00 lakh. BG-30.00 lakh
	Matter subjudice.
	Inspection be conducted by SIT  to know the present status.

	19
	18106
	26-04-2006
	CONSTRUCTION OF  OFFICE BUILDING (MOEA) , BY CPWD
	PLOT NO. 23-DF, MAULANA AZAD ROAD NEW DELHI
	NC-ND
	Office building
	18.02.2008-CTE granted.
03.06.2008- The EC clearly specifies a six monthly monitoring report to be submitted to dpcc.Ask the unit to file the report by 11.07.2008.
24.11.2008 -Ask the unit to apply for CTO.
	160KLD 
CTE issued on 28.02.2008 .valid up to 27.02.2009.
EC received on 22.12.2006.

 Reply received on 21.07.2008 alongwith six  monthly monitoring report.Issued on july 29.07.2008.
(C/125).
Reply received on 16.02.02009 mentoning that the building is under construction and would require another 12 months for its completion and CTO will be applied few months before commissioning.

 Reply received on 15.07.2009 alongwith half yearly monitoring report. Issued on 13.07.2009.
	No action.
	Application be made infructuous as Consent to Establish has already been granted.

	20
	18193
	12-05-2006
	AMBIENCE DEVELOPER PVT. LTD.
	CONST. OF SHOPPING MALL AT PLOT NO.2, VASANT KUNJ, PHASE-II
	NC-SW
	Shopping Mall
	Decision on 15.05.09. 
Unit came for personal hearing in its other case listed today. In this case, unit has to give a compliance report on some of the deficiencies which were found by SIT. The unit is also supposed to provide water balance chart, a letter from DDA indicating that they will get nearly 300 KLD of waste water from Vasant Kunj STP. If, the STP is fully functional and operational as certified by Delhi College of Engineering and the entire waste water is treated and reused then the 5th category concession of 50 % of 50 % of the initial damages / Bank Guarantee will be applied. Call on 12.06.2009
Decision on 12.06.09 
Issue final reminder.Call on 05.08.09.




	Unit applied for CTE under Green category on17.05.05.

As per CTE application: 
Gw: Nil
9 X 1500 KVA DG Sets prposed.

EC submitted.
STP installed.Adequacy Report of STP submitted.

Letter dated 22.05.09 issued to the unit for complaince report on defeciencies noted by SIT, to provide water balance chart and a letter from DDA indicating that unit will get nearly 300 KLD of waste water from VAsant Kunj STP.
Unit submitted its reply dated 11.06.09 including:-a) letter from DDA for providing th required amount of treated water for the Shopping Mall. 
b) copy of order for supply & providing of energy meter and flow meter for STP.
c) Water balance chart
d) Stack monitoring report for 4 DG Set 1500 KVA each.Also unit sttaing that they hve dedicated one room in basement for collection & segregation 






	Suitable reply be sent for compliance of earlier CMC's decision.
	Ask the unit to submit the 50 % of the 50 % of the initial Bank Guarantee and environmental damages imposed earlier immediately and to submit the proper letter from DDA regarding the supply of waste water from Vasant Kunj STP for treating in its STP in order to utilize the installed capacity of its STP immediately, failing which, the unit will not be entitled for the 50 % concession on environment damages and bank guarantee and the environmental damages and bank guarantee of remaining amount will be submitted within 15 days, failing which, closure action be initiated. 

	21
	18237
	18-05-2006
	OMAXE CONSTRUCTION LTD(CONSTRUCTION OF COMMERCIAL COMPLEX AT NETAJI SUBHASH PALACE, WAZIRPUR) N.D.
	7 LSC, KALKAJI, NEW DELHI-1100119
	NC-NW
	Commercial complex
	 25.03.2009-Ask the unit to submit monitoring report for the parameters / items mentioned in the environmental clearance during construction phase. Call on 05.05.2009
 06.05.2009-Issue final reminder for six monthly monitoring report. Call on 12.06.2009
12.06.2009-Ask the unit to submit the itemwise compliance report on an affidavit and test report from approved laboratory of DPCC.  Call on 05.08.2009Ask the unit to submit the itemwise compliance report on an affidavit and test report from approved laboratory of DPCC.  Call on 05.08.2009
	Letter to file itemwise compliance report on an affidavit and test report from approved lab of DPCC issued on 30.06.09.
Reply receieved on 16.07.09 along with test report and an affidavit regarding itemwise compliane of EC's conditions.
Reply receieved on 16.07.09 along with test report and an affidavit regarding itemwise compliane of EC's conditions.
	Ask the unit to file compliance affidavit of Consent to Establish's conditions issued earlier.
	Consent application be made infructuous as consent has already been granted. Ask the unit to file compliance affidavit of Consent to Establish's conditions issued earlier. Also ask the unit to apply for consent to operate at appropriate time along with condonation fee for the intervening period. 

	22
	18238
	18-05-2006
	UPPAL HOUSING P. LTD.(CONSTRUCTION OF RESIDENTIAL COMPLEX AT DWARKA MORE NEW DELHI)
	S-39A, PANCHSHEEL PARK, NEW DELHI
	NC-SW
	Residential Complex
	Decision on 07.01.09
Unit has to file proper tree cutting permission after deposit the requisite fee with the comptent authority. Call on 18.02.09
	Inspection conducted on 03.07.08 by SIT.
Unit submitted tree cutting permission.
As per CMC Decision CTE issued on 19.06.09 valid upto 18.06.2010
	Recommended for making Consent to Establish application infructuous in view of CTE issued on 19.06.2009.
	Implement the Scrutinizing Committee decision.

	23
	18268
	23-05-2006
	INDIA COLONISER PRIVATE LIMITED (CONSTRUCTION OF COMMERCIAL COMPLEXAT M-6, PLAZA NHCC JASOLA)
	JASOLA
	NC-S
	 
	                            12.03.2009
The unit came for personal hearing today. It has confirmed that the STP has been installed and filed some photographs. Let the unit file the water balance chart and latest adequacy report from any of the empanelled agencies of DPCC. Call on 22.04.2009.
                            23.04.2009
Issue  reminder. Call on 03.06.2009
                           03.06.2009
Issue final reminder for adequacy report. Call on 22.07.2009
	Final reminder issued.
Reply received .Unit has submitted  the adequacy report.
19650.72 sq m
	Ask the unit to file completion certificate along with details of the floor wise built up area.
	Ask the unit to file completion certificate along with details of the floor wise built up area. Also ask the unit to apply for Consent to Establish.

	24
	18353
	01-06-2006
	DLF RETAIL DEVELOPERS LTD.(CONSTRUCTION OF SHOPPING COMPLEX AT PLOT NO. A1 & P2B, SAKET PLACE)
	DLF CENTRE, SANSAD MARG, NEW DELHI
	NC-S
	 
	                                 25.03.2009
The SIT inspection report and record reveals the following deficiencies: 
(i) Some of the D.G. Sets were found without adequate stack height.
(ii) Unit is engaged in air polluting activity by use of D.G. Sets, carrying out stone cutting, vehicular moment etc. and water polluting activity by generation of trade effluent waste water from washing, bathing of labourers, trade effluent etc. 
(iii) Wet garbage is being dumped in open.
(iv) Construction material is lying in open. 
Ask the unit to correct the above deficiencies and submit the compliance affidavit of environmental clearance conditions. Call on 09.04.2009
                               23.04.2009
A written explanation of the EE of CMC-III may be summoned for delaying this matter beyond any tolerable limit. File be submitted with explanation within a week. Call on 08.05.2009 with response of the unit.
                                 11.05.2009
SIT-I & SIT-II to inspect jointly and report before 18.05.2009. Also DPCC lab will take the samples as per procedure along with SIT inspection and the sample may be sent to CPCB and DPCC lab for analysis. Call on 22.05.2009
                                   15.06.2009
Sh. B. Kumar, SEE to examine the file and put up. Call on 12.08.2009
	Unit re-applied on 25.09.2007 vide ID no.23626. 
	Application be made infructuous in view of subsequent application dated 25.09.2007 and file be linked with file vide I.D. No 23629.
	Implement the Scrutinizing Committee decision.

	25
	18460
	13-06-2006
	GURU GOBIND SINGH I.P. UNIVERSITY (CONSTRUCTION OF UNIVERSITY CAMPUS AT SEC.-16 DWARKA)
	GURU GOBIND, I.P. UNIVERSITY KASHMERE GATE
	NC-SW
	University campus
	Decision on 11.12.08
SIT to inspect & report. CAll on 21.01.09.

Decision on 21.01.09
Ask the unit to correct the deficiencies observed during inspection by SIT. Call on 25.02.09.

Decision on 25.02.09
Call on 02.04.09.

Decision on 02.04.09
Ask the unit to indicate clearly that deficiencies communicated have been rectified.Call on 12.05.09

Decision on 15.06.09
Issue final reminder.
Call on 12.08.09
	As per CTE application:
Trade Effluent - NIL
DG set- 3X 2000 KVA
GW- 100 KLD

As per IR
DG Set, Construction phase- 2X 125 KVA, Operatrion phase- 2X 1500 KVA + 1 X1000 KVA DG Set (prposed during operation phase)

EC submitted . Compliance affidavit for EC conditions submitted.

Final reminder issued on 02.07.09.
Rply received  on 21.07.09.
	Issue reminder.
	Call for personal hearing before MS for explaining the matter.

	26
	18773
	13-07-2006
	CONSTRUCTION OF DELHI JUDICIAL ACADEMH, NATIONAL LAW SCHOOL,NATIONAL INST. FOR MED. & CONCILL(EIA)
	SECTOR-14, DWARKA, PH-I, NEW DELHI
	NC-SW
	Law School
	Decision on 14.01.09
Issue final reminder. CAll on 04.03.09

Decision on 04.03.09
MS to speak to expedite filing of item wise complaince of Environmental Clearance's conditions. Call on 09.04.09.

Decision on 09.04.09
Call on 19.05.09.

Decision on 15.06.09
Issue reminder. Call on 12.08.09
	As per CTE application:
GW: 118.8 KLD
STP proposed.
DG Set: 4X1000 KVA & 1X 500 KVA (Proposed) 

EC submitted on 29.01.08.
Letter dated 05.03.08 & its subsequent reminders issued to the unit for the submission of item wise complaince affidavit for EC conditions.

Reply awaited.
	Issue final reminder.
	Case be considered after implementation of decision of Scrutinizing Committee.

	27
	19116
	24-08-2006
	TODAY HOMES AND INSTRASTRUCTURES LIMITED, STATESMAN HOUSE, 8TH FLOOR, BARAKHAMBA ROAD, NEW DELHI
	CONSTRUCTION OF COMMERCIAL COMPLEX (NORTH GATE ORBIT PLAZA) AT GUJAARAWALA TOWN)
	NC-NW
	 
	                           23.04.2009
The unit came for personal hearing today. It sought leniency on the conditions of environmental damages and Bank Guarantee on account of the depressed economic conditions in the real estate sector. He also mentioned that he has bought the premises somewhere at the plinth level from another builder who has defaulted on account of not applying for Consent to Establish at the right time. He, therefore, sought a more generous dispensation from the Committee that has been ordered in the past. The Committee deliberated on the issue and at both of his requests and decided to reduce the environmental damages by Rs. 5 Lakhs and increase the Bank Guarantee by Rs. 5 Lakhs. The unit represented by Sh. Arun Nayyar, Vice President of the unit has agreed to deposit Rs. 5 Lakhs as environmental damages and Rs. 45 Lakhs as Bank Guarantee valid for three years within a month. 
As the Consent to Establish application already filed, the unit must file the appropriate affidavit which is required for the complete application. If, the unit complies with the above, CTE be granted across the table. Call on 03.06.2009.
                                 03.06.2009
Call on 22.07.2009 for full compliance.
	Letter to comply with the full directions of CMC dated 23.04.09 was issued on 23.06.09.
Reply awaited and also unit has not submitted ED & BG and fresh affidavit w.r.t. CTE. 
	Inspection be conducted to know the present status.
	Issue SCN for refusal of consent and for closure. 

	28
	19289
	11-09-2006
	R.C. SOOD & CO. PVT. LTD. (CONSTRUCTION OF SHOPPING MALL AT 10, SHIVAJI PALACE, RAJA GARDEN,) EIA
	S-1, AMRICAN PLAZA, INTERNATIONAL TRADE TOWER, NEHRU PLACE, NEW DELHI-19
	NC-W
	 
	 
	 
	May be clubbed with Sl. No 31.
	Application be made infructuous and file be linked with file vide I.D. No 20729

	29
	19309
	13-09-2006
	LIFESTYLE BUILDCON P. LTD (CONSTRUCTION OF COMMERCIAL COMPLEX AT PLOT -4, JASOLA, DISTT. CENTRE(EIA)
	3, MUNIRKA MARG, VASANT VIHAR
	NC-S
	 
	                           21.01.2009
The unit came for personal hearing today. It claims that it has established proper STP and therefore environmental damages and Bank Guarantee is very high. Let the unit get a technical evaluation done from one of the empanelled agencies of DPCC and file a report by 04.03.2009. Call on 04.03.2009.
                              04.03.2009
Ask the unit to file the technical evaluation report of STP immediately. Call on 02.04.2009
                              02.04.2009
Issue final remider. Call on 12.05.2009
                              12.06.2009
File be submitted administratively.
	ED-35 lakh, BG--35lakh
Inepction by trainee could not be conducted as decided administratively.
26898.25 sq m
	Inspection be expedited.
	Inspection be expedited by SIT within 15 days.

	30
	20622
	08-02-2007
	DLF COMMERCIAL DEVELOPERS LTD
	CONSTRUCTION PROJECT AT JASOLA , PLOT NO-10 & 11
	NC-S
	 
	                          06.05.2009
Unit has requested for a personal hearing. Personal hearing allowed. Call for personal hearing on 15.05.2009 at 5.15 PM.
                          15.05.2009
The unit came for personal hearing today. It has filed a compliance report on the points of deficiencies found by the SIT and agreed to rectify this within one week. The six monthly monitoring report must be submitted with a clear item-wise compliance on each point of the environmental clearance’s conditions and the unit must also file the consent to operate application and adequacy report from empanelled consultant of DPCC and affidavit that they do not have any borewell. Call on 01.07.2009. 
	Letter was issued to the unit to file submit six monthly monitoring report  with a clear item-wise compliance on each point of the environmental clearance’s conditions and to file the consent to operate application and adequacy report from empanelled consultant of DPCC and affidavit that they do not have any borewell.

Reply Received, unit has applied for CTO on 01.07.2009 with adequacy report.
28970.78 sq m

Matter subjudice.
	Matter subjudice.
	Inspection be SIT.

	31
	20623
	08-02-2007
	PALIWAL DEVELOPERS LTD
	MAYUR VIHAR
	NC-E
	Shopping Mall
	                                 11.05.2009
SIT-I & SIT-II to inspect and report before 18.05.2009. Inform advocate accordingly. Call on 22.05.2009
                                   15.05.2009
Three cases of maals namely (i) Jindal Biochem (P) Ltd., Karkardooma. District Centre, near AGCR Colony, Delhi (ii) Paliwal Developers Ltd (DLF), Galleria shopping mann Plot No. 1B, Mayur, Vihar, Delhi-92 & (iii) DLF Retail Developers Ltd. (Construction of Shooping Complex named as DLF South Court at plot no. A1 & P2B, Saket, New Delhi ) have been ispected by SIT for submission to the advocate for the cpourt hearing on 18.05.2009. the deficiencies noted by SIT during inspection be informed to the advocate by MS omorrow. Call on 22.05.2009
                                  15.06.2009
Ask the unit to correct the defiencies observed by SIT during the inspection and ask to provide DTP for 28 KLD domestic waste water discharged. call on 12.08.2009
	Matter sub-judice

Letter issued on 06.07.2009 to correct the deficiencies observed by SIT & asking the unit to provide STP for 28 KLD. 

Reply received on 25.08.2009 in response to this office letter dated 06.07.2009 and it was informed that STP was not planned for the project as there was no space available in the basement. Therefore requested that provision of STP for the small quantity of 20 KLD may not be imposed upon at this stage.
	Matter subjudice. Issue reminder for installation of STP.
	Matter subjudice. Issue final reminder for installation of STP of adequate capacity.

	32
	20688
	21-02-2007
	NIRULAS CORNER HOUSE PVT. LTD
	K-14, CONNAUGHT CIRCUS
	NC-ND
	Reataurant
	 
	GW- 34KLD
	Inspection be conducted to know the present status.
	Case be considered after implementation of decision of Scrutinizing Committee.

	33
	20729
	27-02-2007
	R.C. SOOD & COMPANY P. LTD
	SHOPPING MALL, PLOT NO-10, SHIVAJI PLACE, DISTRICT CENTER, RAJA GARDEN
	NC-W
	Construction of shopping mall
	Decision on 12.03.09
Call on 02.04.09.

           Decision on 02.04.09
Unit has not filed its rply so far. Issue final reminder to file its reply by 22.04.09 includind complaince of the lettter of CGWA dated 05.03.09 dated 05.03.09 . CAll on 22.04.09.

          Decision on 23.04.09
Issue fianl reminder. Call on 03.06.09.

          Decision on 03.06.09
Call for personal hearing on 08.07.09 a 5.45 PM.
	GW may be used.
Trade Effluent : 6.12 KLD
DG Set : 2X 1250 KVA & 1 X 380 KVA.

Letter dated 25.06.09 issued for personal hearing on 08.07.09.
	Call for personal hearing.
	Call for personal hearing in next CMC meeting.

	34
	20746
	28-02-2007
	AUTO CARE
	DISTT CENTRE, SHIVAJI PLACE, NAJAFGARH ROAD, RAJOURI GARDEN
	NC-W
	Filling pump cum service station 
	
Decision on 16.03.09
Ask the unti to apply for Conset to operate, file permission from Central Ground WAter Authority for extracting the ground water and affidavit for installation of ETP. Call on 29.04.09

Decision on 11.05.09
Issue final rminder for full compliance of earlier CMC decision with direction to seek permission for ground water extraction for ground water extraction from DJB in view of new orders. Call on 24.06.09.

Decision on 24.06.09
Issue SCN for refusal of consent. Call on 26.08.09.
	

Trade Effluent - 1800 ltrs/day
DG set- 65 KVA (proposed).
GW-  3 KLD
SCN for refusal of consent issued on 15.07.09.
	Inspection be conducted to know the present status.
	Consent be refused and SCN for closure be issued.

	35
	21114
	24-04-2007
	LAXMI BUILDTECH PVT. LTD
	PLOT NO D-1A & P3-A, SAKET PLACE
	NC-S
	 
	                      23.04.2009
SIT has noted that the conditions, at Sl.No. (i), (ii), (iii) (vii), (x) (xi), (xii), (xiv), (xv), (xix) & (xxiv) to (xxvi) during construction phase and Sl. No (i) to (vii) & (ix) in operation phase, stipulated in Environmental Clearance have not ben complied . Ask the unit to fully comply with the Environmental Clearance's conditons. Call on 03.06.2009
                      03.06.2009
Ask the unit to apply for Consent to Operate and to follow up the recommendation of DCE mentioned in the adequacy report. Call on 22.07.2009
	Letter issued.
Reply received ,unit has requested for some more time.
	Matter subjudice.
	Matter subjudice. Inspection by SIT.

	36
	21127
	26-04-2007
	HOTEL QUEEN ROAD PVT. LTD
	19, ASHOKA ROAD
	NC-ND
	 
	 
	 
	Inspection be conducted in view of complaints.
	Inspection be conducted to ascertain any deficiencies remaining for the point asked by the DPCC and for the issue if any left in the complaint.

	37
	21135
	26-04-2007
	UPPAL HOUSING PVT. LTD
	MEHRAULI ROAD, VILLAGE CHANDANHOLA, TEHSIL HAUZ KHAS
	NC-S
	 
	                       02.02.2009
As already decided in CMC meeting dated 06.11.2008, ask the unit to file the zonal plan of this area to confirm whether housing in rural area is permitted. Also ask the unit to file MCD sanctioned building plan. Call on 25.03.2009
                        25.03.2009
Call on 02.04.2009
                       02.04.2009
Issue final reminder. Call on 12.05.2009
                      15.06.2009
Ask the unit to file full compliance. Call on 12.08.2009
	Reminder issued to the unit to file the zonal plan of this area to confirm whether housing in rural area is permitted. Also ask the unit to file MCD sanctioned building plan. 
Reply received with zonal plan and also stating that building plan will be sanctioned only after the approval of layout plan for which they have already deposited the fee.
However documents not submitted.
49559.22 Sq. metre
	Paste the letter and inspection be conducted.
	Inspection  by SIT be conducted and undelievered letter be sent to all 5 offices.

	38
	21140
	27-04-2007
	DELHI METRO RAIL CORPORATION LTD (IT PARK, PHASE-II)
	IT PARK BLOCK-2, SHASTRI PARK
	NC-E
	Office Building
	                      12.03.2009
The unit came for personal hearing today. The unit is directed to file the following:-
(a) Latest adequacy report of the 650 KLD capacity STP from any of the empanelled agencies of DPCC.
(b) Water mass balance chart.
(c) Technical proof and drawing showing that the entire treated waste water will be used in adjoining DMRC depot and other premises which will be inspected by SIT before granting any relief.
Call on 22.04.2009.
                        03.06.2009
Issue final reminder. Call on 22.07.2009
	Reminder issued asking the unit to file adequacy report of STP, water balance chart, technical proof showing that entire treated waste water will be used in adjoining DMRC Depot.

No reply received and also copy of letter issued to site address, returned undelivered. 
	Issue reminder for adequacy report from empanelled consultant of DPCC.
	Case be considered after implementation of decision of Scrutinizing Committee.

	39
	21238
	07-05-2007
	ADITYA INFRACON (P) LTD.
	PLOT NO. 8, JASOLA DISTRIC NED DELHI
	NC-S
	 
	                                 20.02.2009
Ask the unit to file adequacy report mentioning the reuse of treated waste water. Inspection platform with approach ladder and filter press should be provided with STP. Proper log book should be maintained. Sludge generated from the physio-chemical ETP should be managed as per HWM Rules. One bore-well exists at site. No information provided regarding CGWA clearance. Ask the unit to correct all these deficiencies. Call on 02.04.2009
                                 02.04.2009
Issue final remider. Call on 12.05.2009
                                 12.06.2009
Ask the unit to file environmental clearance as built up area is more than 20,000 sqm as per IIT Survey. Also ask the unit to file full compliance and file DJB clearance for ground water extraction. Call on 05.08.2009
	Final reminder issued to the unit to submit the compliance of CMC decision dated 20.02.2009. 
Reply received.along with adequacy report.
19906.801sq.m 
BG-.50% and  ED-.25% of project cost.(not deposited yet)
	Ask the unit to file completion certificate along with details of the floor wise built up area.
	Ask the unit to file completion certificate along with details of the floor wise built up area. Also issue reminder to submit environmental damages and Bank Guarantee.

	40
	21310
	14-05-2007
	DLF LTD (GROUP HOUSING SOCIETY
	E BLOCK, GK-II
	NC-S
	 
	                 11.12.2008
The unit came for personal hearing today and has filed a letter of compliance. SIT to inspect and report. Call on 14.01.2009.
                      30.12.2008
Call on 14.01.2009 with SIT report.
                         14.01.2009
MS to consult advocate and then submit file administratively.
                        02.04.2009
Call on 22.04.2009
                        23.04.2009
A written explanation of EE, CMC-III may be submitted as to why orders have not been implemented. Issue notice to the unit to file Consent to Establish. Call on 03.06.2009
                     03.06.2009
Call on 22.07.2009
	Opinion of the advocate has been taken. 
10733 metre square
Matter subjudice.
	Inspection to know the present status.
	Inspection be conducted by SIT to know the present status.


	S.No.
	Name of the farm house
	Address
	Activity
	Earlier decisions
	ATR/Remarks
	Inspection status
	Decision on 06.01.2010

	1
	M/s. R.G. House farm House
	Budhpur
	Party lawn for marriges etc
	                  20.02.09
Since, these are newly constructed motels in Narela area, issue notice for filling Consent to Establish. If the built up area is more than 20000, ask the units to file Environmental Clearance also. Call on 02.04.2009.
                       02.04.2009
Issue a letter to the unit explaining the provisions of Air and Water Acts and why Consent to Establish is required. Call on 12.05.2009.
           15.06.2009
Time allowed for 15 days. Call on 12.08.2009
Scrutinizing Committee in its meeting dated 24.11.2009 decided to inspect the premsies and after inspection of the unit on 03.12.2009, the Scrutinizing Committee in its meeting dated 04.12.2009 recommended for issuance of closure directions.
	Notice u/s 25/26 of Water Act and 21/22 of the Air  Act issued on 12.03.2009
Letter issued on 28.04.2009 to apply for CTE. 
Reply received on 15.05.2009 informting that the signing authority is not available and will submit the same. 
Letter issued on 07.07.2009 asking the unit to submit the compliance report within 15 days. 
Unit has neither submitted reply nor applied for consent to establish. 
	Inspected on 03.12.2009 and observed as under :-
1. Unit is a party lawn for marriage & other function.
2. ETP to treat the trade effluent generated from kitchen & prepration of food activity not installed and discharge in open drain without any treatment.
3. DG sets (ten Nos) found installed in premises and all are without acoustic enclosure & having inadequate stach height.
4. Unit is having 2 Nos of borewells. Permission from CGWA/DJB not available.
5. As informed, unit is operating on D.G sets and electric connection is obtained in the name of Smt Gulshan Kumari (K No: 43100122971) of 5KW for office purpose & 2-3 motors.
	Issue SCN for closure of the unit and cancellation of MCD licence.

	2
	M/s. Clouds (A party Club)
	Plot No 139 to 144 Village Budhpur, Main GTK Road, Delhi-36
	Party Lawn
	                  20.02.09
Since, these are newly constructed motels in Narela area, issue notice for filling Consent to Establish. If the built up area is more than 20000, ask the units to file Environmental Clearance also. Call on 02.04.2009.
                       02.04.2009
Issue a letter to the unit explaining the provisions of Air and Water Acts and why Consent to Establish is required. Call on 12.05.2009.
           15.06.2009
Time allowed for one month. Call on 12.08.2009
Scrutinizing Committee in its meeting dated 24.11.2009 decided to inspect the premsies and after inspection of the unit on 03.12.2009, the Scrutinizing Committee in its meeting dated 04.12.2009 recommended for issuance of closure directions.
	Notice u/s 25/26 of Water Act and 21/22 of the Air  Act issued on 12.03.2009
Letter issued on 28.04.2009 to apply for CTE. 
Reply received on 15.04.2009 that I was out of station and requested to allow some time for compliance.  
Letter issued on 07.07.2009 asking the unit to submit the compliance report within 15 days. 
Unit has neither submitted reply nor applied for consent to establish. 
	Inspected on 03.12.2009 and observed as under :-
1. Unit is a party lawn for marriage & other function.
2. ETP to treat the trade effluent generated from kitchen & prepration of food activity not installed and discharge in open drain without any treatment.
3. DG sets (ten Nos) found installed in premises and all are without acoustic enclosure & having inadequate stach height.
4. Unit is having 2 Nos of borewells. Permission from CGWA/DJB not available.
5. As informed, unit is operating on D.G sets and electric connection is obtained in the name of Smt Gulshan Kumari (K No: 43100122971) of 5KW for office purpose & 2-3 motors.
	Issue SCN for closure of the unit and cancellation of MCD licence.

	3
	Eden Garden
	Palla- Bakhtawar Road
	Party lawn for marriage etc.
	                  20.02.09
Since, these are newly constructed motels in Narela area, issue notice for filling Consent to Establish. If the built up area is more than 20000, ask the units to file Environmental Clearance also. Call on 02.04.2009.
                       02.04.2009
Issue a letter to the unit explaining the provisions of Air and Water Acts and why Consent to Establish is required. Call on 12.05.2009.
           15.06.2009
Issue final reminder. Call on 12.08.2009
Scrutinizing Committee in its meeting dated 24.11.2009 decided to inspect the premsies and after inspection of the unit on 03.12.2009, the Scrutinizing Committee in its meeting dated 04.12.2009 recommended for issuance of closure directions.
	Notice u/s 25/26 of Water Act and 21/22 of the Air  Act issued on 12.03.2009
Reply received on 31.03.2009 stating that to ask necessary formalities under the Air and Water Act.
Letter issued on 28.04.2009 to apply for CTE. 
Letter issued on 06.07.2009 asking the unit to submit the compliance report within 15 days. 
Unit has neither submitted reply nor applied for consent to establish. 
	Inspected on 03.12.2009 and observed as under :-
1. No ETP installed.
2. No acoustic installed for DG set of capacity 40, 125 & 65.5KVA.
3. 04 Nos of pit constructed for disposal of waste water into drain.
4. Two borewell observed without permission from CGWA.
	Issue directions u/s 31(A) of the Air Act and u/s 33(A) of the Water Act with emergency clause for closure of the unit, cancellation of MCD permission, disconnection of electricity / water supply to the unit and to SDM for taking necessary action for effective closure of the unit and operation of D.G. Set. 

	4
	Suraj Vatika Party Lawn
	Palla- Bakhtawar Pur Road, G.T.K. Road, Delhi-36
	Party Lawn (2 Nos)
	                  20.02.09
Since, these are newly constructed motels in Narela area, issue notice for filling Consent to Establish. If the built up area is more than 20000, ask the units to file Environmental Clearance also. Call on 02.04.2009.
                       02.04.2009
Issue a letter to the unit explaining the provisions of Air and Water Acts and why Consent to Establish is required. Call on 12.05.2009.
           15.06.2009
Send suitable reply by the cell. Call on 12.08.2009
Scrutinizing Committee in its meeting dated 24.11.2009 decided to inspect the premsies and after inspection of the unit on 03.12.2009, the Scrutinizing Committee in its meeting dated 04.12.2009 recommended for issuance of closure directions.
	Notice u/s 25/26 of Water Act and 21/22 of the Air  Act issued on 12.03.2009
Reply received on 30.03.2009 stating thatwe are surprised to see that our business is in needs to apply for CTE under Air and Water Act and direct the concerend officer to supply necessary formalities under the Air and Water Act.
Letter issued on 28.04.2009 to apply for CTE. 
Reply received on 15.05.2009 stating that the concerned person is out of station and to provide the required guidelien in the matter so that the concern person will fulfill the desired application.
Letter issued on 06.07.2009 asking the unit to submit the compliance report within 15 days. 
Unit has neither submitted reply nor applied for consent to establish. 
	Inspected on 03.12.2009 and observed as under :-
1. Unit has two lawns for arrangement of marriage & other function.
2. No ETP installed.Trade effluent generated from kitchen/ food prepararion activity is collected in a collection tank and discharge outside the premises in an open drain by using a pump & flexible pipe as observed during inspection. 
3. DG sets  found installed near entry gate. One DG set (125KVA) with acoustic, 2*125 KVA DG partially acoustic and remaining without acoustic enclosure.
4. Unit has made nos of pits with 6" dia pipe to dicharge the waste water in underground water. 
	Issue SCN for closure of the unit and cancellation of MCD licence.

	5
	Osho Upwan
	Palla- Bakhtawar Road
	Party Lawn (1 No)
	                  20.02.09
Since, these are newly constructed motels in Narela area, issue notice for filling Consent to Establish. If the built up area is more than 20000, ask the units to file Environmental Clearance also. Call on 02.04.2009.
                       02.04.2009
Paste the letter on the premises. Call on 12.05.2009.
           15.06.2009
Call for personal hearing on 29.07.2009 at 6.30 PM by pasting. 
Scrutinizing Committee in its meeting dated 24.11.2009 decided to inspect the premsies and after inspection of the unit on 03.12.2009, the Scrutinizing Committee in its meeting dated 04.12.2009 recommended for issuance of closure directions.
	Notice u/s 25/26 of Water Act and 21/22 of the Air  Act issued on 12.03.2009
Letter issued on 01.07.2009 for personal hearing. 
Reply received on 28.07.2009 stating that due to some personal work, I would not be available in Delhi by 29.07.2009 so kindly issue another date. 
	Inspected on 03.12.2009 and observed as under :-
1. Premises is used as party lawn for marriage & other function.
2. No ETP installed.Trade effluent generated from kitchen is collected in a sump for discharge. 
3. DG sets (12 Nos) found installed  without acoustic enclosure & having inadequate stack height.
4. Unit has made 2 another sumps/ pits for collection & discharge of waste water of lawns & party area.
5. Two borewell exists.
	Issue directions u/s 31(A) of the Air Act and u/s 33(A) of the Water Act with emergency clause for closure of the unit, cancellation of MCD permission, disconnection of electricity / water supply to the unit and to SDM for taking necessary action for effective closure of the unit and operation of D.G. Set. 

	6
	Shakuntlam Garden (Meenu Chabra )
	Opp. Eden Garden, Palla Bakhawar Pur Road
	Party Lawn
	                  20.02.09
Since, these are newly constructed motels in Narela area, issue notice for filling Consent to Establish. If the built up area is more than 20000, ask the units to file Environmental Clearance also. Call on 02.04.2009.
                       02.04.2009
Paste the letter on the premises. Call on 12.05.2009.
           15.06.2009
Contact Dy. Assessor and Collector (Narela) and find out the address to paste. Call on 12.08.2009
Scrutinizing Committee in its meeting dated 24.11.2009 decided to inspect the premsies and after inspection of the unit on 03.12.2009, the Scrutinizing Committee in its meeting dated 04.12.2009 recommended for issuance of closure directions.
	Notice u/s 25/26 of Water Act and 21/22 of the Air  Act issued on 12.03.2009
	Inspected on 03.12.2009 and observed as under :-
1. Unit is a party lawn for marriage & other function.
2. No ETP installed for treatment of waste water generated and other sources.
3. Two nos of DG sets installed  without acoustic enclosure & having adequate stack height.
4. Unit is having two nos of borewell, permission not provided.
5. Six nos of soke pit provided to drainout the waste water into the ground.
	Issue directions u/s 31(A) of the Air Act and u/s 33(A) of the Water Act with emergency clause for closure of the unit, cancellation of MCD permission, disconnection of electricity / water supply to the unit and to SDM for taking necessary action for effective closure of the unit and operation of D.G. Set. 


