 Minutes of the 128th meeting of the Committee Constituted for Deciding the Consent under Orange Category, held on 07.10.2009 in the Conference Room of Chairman, DPCC.

   The following persons attended the meeting:

Sh. Dharmendra, Chairman, DPCC

Dr. A.K.Ambasht, Member Secretary, DPCC

Prof. S. K. Gupta, IIT-Delhi.

Sh. M. Dwarakanth, SSO, Dept. of Env,. GNCTD 
Sh. B. Kumar, SEE, DPCC

EEs of CMC –  I, II, III & IV.

AEEs of CMC –  I, II, III & IV.


Following decisions were taken in the said meeting:- 

Agenda Item No. 1-   Fresh Consent to Operate / Renewal cases w.e.f. 01.09.2009 considered by Scrutinizing Committee on 29.09.2009 & 30.09.2009.

Decisions taken with respect to this agenda are tabulated and annexed as Annexure – 1.

While considering consent to operate/ renewal, the consent to establish has also been granted though not listed in the agenda in view of the fact that consent to establish is the prerequisite for the consent to operate / renewal as per prevailing practice.
Table Agenda Item No-1:-  M/S Brooklyn Engineers (I) Pvt. Ltd, Plot No 493, Patparganj Industrial Area, Delhi-92
Subsequent to issuance of closure directions, due to failure to submit Bank Guarantee, unit has submitted Bank Guarantees as sought and closure directions have been revoked. The said action is ratified. 
Table Agenda Item No-2:-  M/s Auto Needs (P) Ltd. (Sh. Ved Vrat Sharma, landlord), 507, FIE, Patparganj Industrial Area, Delhi-92
As decided by CMC earlier the landlord has submitted an affidavit to the effect that the premises is lying vacant and will allow any industrial activity only with the prior permission from DPCC. Accordingly, closure directions have been revoked. The said action is ratified. 
Meeting ended with thanks to the Chair.


	Sl. No
	ID No
	appl_dt
	firm_name
	firm_address
	area_name
	Activity/ Product
	Category
	Earlier CMC Decisions  
	Quantity of Ground water extraction
	ATR / Remarks
	Recommendations of Scrutinizing Committee on 29.09.2009 & 30.09.2009
	Decision on 07.10.2009

	1
	31283
	01-09-2009
	SUPEREX  FIRE ENGINEERS
	PLOT NO. C-6/1
	WAZIRPUR INDUSTRIAL AREA
	Mfg. of fire fighting equipments
	RENEWAL
	 
	NIL
	CTO valid upto 04.05.2006.
CTR granted and valid up to 12-06-2009 
	Recommended for grant of renewal of consent.
	Issue renewal of consent. Warning letter may also be issued for the delayed submission of the consent application for renewal.

	2
	31287
	01-09-2009
	MALWA MOTORS PVT. LTD.
	W-10, PHASE-II
	OKHLA INDUSTRIAL AREA
	servicing and washing of two wheelers
	OPERATE
	CMC meeting held on 24.06.09 and it was decided to ask the unit to full fill compliance wrt.asked to apply for CTO, DJB clearance and fresh adequacy report within 1 month.
	NIL
	Letter issued on 15.07.09.Full compliance not received but CTE applied on 22.03.07
	Inspction be conducted.
	Case be considered after implementation of decision of Scrutinizing Committee.

	3
	31288
	01-09-2009
	A.I. ENTERPRISES
	J-18, GALI NO 5
	FRIENDS COLONY INDUSTRIAL AREA
	Copper wire drawing only
	OPERATE
	  17.06.09
Ask the unit to confirm its reply on an affidavit. Also issue SCN u/s 21 of the Air Act and u/s 25/26 for not obtaining renewal of consent. Call on 19.08.2009
	Nil
	Unit applied for CTE & CTO and authorisation under HWM rules in response to notice dated 23.07.09.Sumitted an affidavit as sought by DPCC.
GW-Nil
	Recommended for grant of consent to operate, consent to establish and authorization under HWM Rules. 
	Issue Consent to Operate, Consent to Establish and authorization under HWM Rules.

	4
	31289
	01-09-2009
	HEM CHAND GUPTA & SONS (HUF)
	537/2, GALI NO 8
	FRIENDS COLONY INDUSTRIAL AREA
	Copper wire drawing only
	RENEWAL
	  17.06.09
Issue reminder. Also ask the unit to apply for renewal of consent. Call on 19.08.2009
	Nil
	letter issued
CTE obtained, applied for CTO( R) and authorisation under HWM rules
	Recommended for grant of renewal of consent and authorization under HWM Rules.
	Issue renewal of consent and authorization under HWM Rules.

	5
	31291
	01-09-2009
	MAHESHWARI WIRES & CABLES (UNIT-II)
	340/41, GALI NO 1B
	FRIENDS COLONY INDUSTRIAL AREA
	Mfg of PVC compound
	OPERATE
	 
	Nil
	Aapplied for CTE and CTO using fresh raw material
GW-Nil
	Recommended for grant of consent to operate and consent to establish. 
	Issue Consent to Operate and Consent to Establish.

	6
	31293
	01-09-2009
	HEMKUND METAL
	1/429/8-B, GALI NO 1
	FRIENDS COLONY INDUSTRIAL AREA
	Double pare coating wire
	OPERATE
	  17.6.09
Issue SCN u/s 21 of the Air Act and u/s 25/26 for not obtaining consent to establish and consent to operate. Call on 19.08.2009
	Nil
	Applied for CTE and CTO in response to our notice dated 30.07.09
GW-Nil
	Recommended for grant of consent to operate and consent to establish. 
	Issue Consent to Operate and Consent to Establish.

	7
	31294
	01-09-2009
	INTIMATE SERVICE STATION
	PANCH SHILA PARK
	NC-S
	petrol pump cum service station
	RENEWAL
	 
	NIL
	Ground Water : Nil in current file. In old file ground water shown 300 Lt/day.
CTO granted earlier valid upto 29.05.2006. CTE applied.
Applied for CTO (R) vide I.D. No. 19160 & 31294.
	Inspection be conducted.
	Case be considered after implementation of decision of Scrutinizing Committee.

	8
	31296
	01-09-2009
	NEM CHAND TARA CHAND
	10/7, G.T. KARNAL ROAD, VILLAGE ALIPUR
	NC-NW
	Filling Station cum Service Station of bikes
	OPERATE
	 
	NIL
	Date has not been mentioned properly in adequacy report and monitoring report.
Applied for CTE on 22.04.2008.
	Adequacy report be sent to Delhi College of Engineering for their cofirmation as to why date has not been mentioned.
	Case be considered after implementation of decision of Scrutinizing Committee.

	9
	31302
	01-09-2009
	B.S. PLASTIC
	F-1498
	NARELA INDUSTRIAL AREA
	Mfg. of plastic dana
	RENEWAL
	 
	125 l/day
	CTO valid upto 25.07.2005.
CTR granted and valid up to 26-06-2009
	Recommended for grant of renewal of consent. 
	Issue renewal of consent. Warning letter may also be issued for the delayed submission of the consent application for renewal.

	10
	31312
	02-09-2009
	SHIV GANGA AUTOMOBILES
	G-5
	NANGLOI DSIDC INDUSTRIAL AREA
	Servicing and repairing of Automobiles (two wheelers)
	OPERATE
	Decision on 20.03.09
Ask the unit to apply for consent to operate, authorization under HWM Rules, file permission from Central Ground Water Authority for extracting the ground water, affidavit for installation of ETP and for non installation of D.G.Set. Also ask the unit to file adequacy report of ETP from any of the empanelled consultants of DPCC.

Decision on 11..05.09
Issue final reminde for full compliance of earlier CMC decision with direction to seek permision for ground water extraction from DJB in view of new orders.

Decision on 24.06.09
Ask the unti to file full complaince within  one month
 
	Nil
	GW: 800 ltrs/ day
Letter issued on 15.07.09 . Unit has applied for CTO and HWM  Authorisation on 02.09.09.
Unit has ssubmitted adequacy report of ETP, however in affidavit it has been mentioned that no trade efflluent is generated.
CTE under Orange category applied on 06.11.2007 and is pending.
	Inspection be conducted to verify the facts and adequacy report be sent to DCE for their cofirmation of the date of issue.
	Case be considered after implementation of decision of Scrutinizing Committee.

	11
	31314
	02-09-2009
	KANSAL BROTHERS
	A-95/2
	WAZIRPUR INDUSTRIAL AREA
	Mfg. of Ice without trade effluent
	RENEWAL
	 
	7200 L.day
	CTO valid upto 09.06.2006.
CTR granred and valid up to 29-08-2009
	Recommended for grant of renewal of consent.
	Refer to DJB for ground water extraction.

	12
	31315
	02-09-2009
	AMARDEEP CABLES PVT LTD.
	71
	RAJASTHAN UDYOG NAGAR INDUSTRIAL AREA
	Mfg. of PVC XLPE Wire & Cables
	RENEWAL
	 
	1400/L day
	CTO valid upto 27.04.2006.
CTR granted and valid up to 27-04-2009
	Recommended for grant of renewal of consent.
	Refer to DJB for ground water extraction.

	13
	31316
	02-09-2009
	AJIT SINGH & SONS
	PLOT NO 135, POCKET-O, SECTOR-2, DSIDC
	BAWANA INDUSTRIAL AREA
	Mfg. and repairing of auto parts by engineering works
	OPERATE
	 
	NIL
	CTE granred and valid up to 09-10-2008
	Recommended for grant of consent to operate.
	Issue consent to operate.

	14
	31317
	02-09-2009
	VIKAS UDYOG
	6/3
	KIRTI NAGAR INDUSTRIAL AREA
	Mfg. of PVC compound
	RENEWAL
	 
	 
	GW: NIL 
Earlier CTO and CTO_ R issued.
	Recommended for grant of renewal of consent. 
	Issue renewal of consent.

	15
	31319
	02-09-2009
	LALLY AUTOMOBILES
	PLOT NO 3A
	WAZIRPUR INDUSTRIAL AREA
	Servicing and Washing of vehicles (Cars
	OPERATE
	CMC (Oranage) decided to ask the unit for full compliance.
	NIL
	Applied for CTE on 11.11.2008
In previous inspection, borewell was found to be existing. However, as per recent application ground water is reported as Nil.
	Inspection be conducted.
	Case be considered after implementation of decision of Scrutinizing Committee.

	16
	31324
	03-09-2009
	MEGHA ENTERPRISES
	PLOT NO 52, RAMA ROAD
	NAJAFGARH ROAD INDUSTRIAL AREA
	Mfg of plastic goods 
	RENEWAL
	 
	 
	GW: 250 Ltrs/ day
CTO & CTO(R) issued.
unit has also applied for CTO-R on 23.11.06 vide ID no. 19907
	Refer to DJB for ground water extraction.
	Case be considered after implementation of decision of Scrutinizing Committee.

	17
	31325
	03-09-2009
	DAYAL PLASTICS
	8/41
	KIRTI NAGAR INDUSTRIAL AREA
	Mfg of plastic goods 
	RENEWAL
	 
	 
	GW: 500 ltrs/ day
CTO & CTO(R) issued.
unit has also applied for CTO-R on 23.11.06 vide ID no. 19904
	Refer to DJB for ground water extraction.
	Case be considered after implementation of decision of Scrutinizing Committee.

	18
	31326
	03-09-2009
	DAYAL TRADERS
	8/41
	KIRTI NAGAR INDUSTRIAL AREA
	Mfg of plastic goods 
	RENEWAL
	 
	 
	GW: Nil
CTO & CTO(R)  issued to the unit at the address of 10/60A and 10/60 respectively. 
unit has also applied for CTO-R on 23.11.06 vide ID no. 19906
	Ask the unit to apply for Consent to Establish.
	Case be considered after implementation of decision of Scrutinizing Committee.

	19
	31328
	03-09-2009
	KAY AAR INDUSTRIES
	PLOT NO. 19/239, SARAI BASTI
	SHAHZADA BAGH INDUSTRIAL AREA
	Rubber compounding for mfg of rubber autoparts
	RENEWAL
	 
	1500 l/day
	Unit has obtained CTO and CTO (R)  and now applied again for CTO(R) 
GW-1500lpd
	Refer to DJB for ground water extraction.
	Case be considered after implementation of decision of Scrutinizing Committee.

	20
	31330
	04-09-2009
	GIRDHARS INTERATIONAL PVT. LTD.
	F-16,
	UDYOG NAGAR INDUSTRIAL AREA
	Mfg. of candles
	RENEWAL
	 
	 
	GW: NiL
DG Set : 1X 250 & 1 X 125 KVA
Earlier CTO & CTO-R granted.
NMR & SMRsubmitted, results within limit.
	Inspection be conducted to ascertain the purification of wax.
	Case be considered after implementation of decision of Scrutinizing Committee.

	21
	31336
	04-09-2009
	SHREE GANESH INDUSTRIES
	PLOT NO 291, POCKET-E, SECTOR-2, DSIDC
	BAWANA INDUSTRIAL AREA
	  Mfg of auto gear parts
	OPERATE
	 
	NIl
	Applied for CTE.
	Recommended for grant of consent to operate.
	Issue consent to operate.

	22
	31341
	04-09-2009
	MALBROS INDUSTRIES
	A-79/1
	WAZIRPUR INDUSTRIAL AREA
	Mfg. of Plastic goods without plastic bags, containers and trade effluent
	RENEWAL
	 
	NIL
	CTO valid upto 12.03.2006
CTR granted and valid up to 24-09-2`009
	Recommended for grant of renewal of consent. 
	Issue renewal of consent.

	23
	31346
	04-09-2009
	SUNRISE PRINTERS
	6/2, SHED NO 6
	KIRTI NAGAR INDUSTRIAL AREA
	Offset printing job ( without trade effluent discharge)
	OPERATE
	 
	 
	Unit has applied fro athorization under HWM Rules on 17.10.06
CTO under Green category granted on 20.10.03 valid upto 15.10.08.
	Ask the unit to apply for Consent to Establish.
	Case be considered after implementation of decision of Scrutinizing Committee.

	24
	31351
	04-09-2009
	SUCAM ENTERPRISES
	1/536, D-7, GALI NO 5
	FRIENDS COLONY INDUSTRIAL AREA
	Mfg of plastic moulded products & PVC wire
	OPERATE
	Ask the unit to file full compliance by 30.06.2009. Issue letter without waiting for minutes. Call on 19.08.2009
	Nil
	Unit has applied for CTE and CTO application and using fresh raw material
GW-Nil
	Recommended for grant of consent to operate and consent to establish. 
	Issue Consent to Operate and Consent to Establish.

	25
	31352
	04-09-2009
	SHAKUN CONSUMER PRODUCTS (P) LTD.
	B-36,
	LAWRENCE ROAD INDUSTRIAL AREA
	Mfg. of Bread
	RENEWAL
	 
	4200 ltr day
	CTO and CTR granted and valid up to 05-09-2009
	Recommended for grant of renewal of consent. Thereafer, inspection be carried out.
	Refer to DJB for ground water extraction. Also inspection be conducted.

	26
	31355
	07-09-2009
	SERVEL INDIA PRIVATE LIMITED
	D-6/1, PHASE-II
	OKHLA INDUSTRIAL AREA
	MFG. OF WIRES AND CABLES
	RENEWAL
	 
	nil
	 CTE was applied on 14.05.08.
	Recommended for grant of renewal of consent and consent to estabilsh. Subsequently, inspection be conducted to ascertain the existence of plate making activity.
	Issue renewal of consent and consent to estabilsh. Subsequently, inspection be conducted to ascertain the existence of plate making activity.

	27
	31360
	07-09-2009
	BRIGHTWAYS HOUSING & LAND DEVELOPMENT LIMITED
	PLOT NO 7, DISTRICT CENTRE, JASOLA
	NC-S
	shopping mall and office complex
	OPERATE
	CMC imposed Rs. 72 Lakhs as Environmental Damages and Rs. 1.5 Crores as Bank Guarantee.
	Nil, However, during inspection on 04.05.2009 the inspection team found borewell as only source of water to the tune of 100 KLD.
	SCN u/s 31(A) was issued on 24.04.2009 regarding to file permission from CGWA for borewell and to comply all the deficiencies observed during the inspection. Compliance report regarding Bank Guarantee of Environmental Damages not submitted. The matter is subjudice.
	Matter subjudice.
	Matter be linked with the other court cases of Shopping Mall/Construction Projects.

	28
	31362
	07-09-2009
	VIKAS POLYMERS
	6/3
	KIRTI NAGAR INDUSTRIAL AREA
	MFg of pVC compound & plastic granules
	RENEWAL
	 
	 
	GW: Nil
Earlier CTO & CTO-R issued
	Recommended for grant of renewal of consent. 
	Issue renewal of consent. Warning letter may also be issued for the delayed submission of the consent application for renewal.

	29
	31366
	07-09-2009
	NEW LAHORE WELDING AND ENGINEERING WORKS
	B-74, PHASE-I
	MAYAPURI INDUSTRIAL AREA
	Mfg. of water tanks & other light engineering works
	RENEWAL
	 
	 
	GW : Nil
CTO issued on 25.08.03 valid upto 13.06.05 
Unit has applied for CTO-R on 14.11.06
	Ask the unit to apply for Consent to Establish and also to confirm the source of water. 
	Case be considered after implementation of decision of Scrutinizing Committee.

	30
	31367
	07-09-2009
	RANA MOTORS PVT. LTD.
	C-47, PHASE-II
	OKHLA INDUSTRIAL AREA
	servicing, repairing and maintenance of cars
	OPERATE
	 
	12000 l/day
	CTE granted on 21.09.05.
	Inspection be conducted.
	Refer to DJB for ground water extraction.

	31
	31369
	07-09-2009
	BHANSALI UDYOG PVT. LTD.
	A-42, PHASE-I
	MAYAPURI INDUSTRIAL AREA
	Mfg. of Electric wires & cables
	RENEWAL
	 
	 
	Gw: Nil
DG Set of 162 KVA proposed, noise monitoring report is submitted.
Earlier CTO & CTO-R issued,
	Recommended for grant of renewal of consent. 
	Issue renewal of consent. Warning letter may also be issued for the delayed submission of the consent application for renewal.

	32
	31375
	08-09-2009
	DELHI TRANSPORT CORPORATION
	SAROJINI NAGAR DEPOT
	NC-S
	repair and maintenance of CNG buses.
	RENEWAL
	 
	12 kl/day
	CTO & CTO (R) issued.
	Refer to DJB for ground water extraction.
	Case be considered after implementation of decision of Scrutinizing Committee.

	33
	31381
	08-09-2009
	NEERU CABLES INDIA NEROLEX HOUSE
	H-1202, DSIDC
	NARELA INDUSTRIAL AREA
	Welding, PVC and XLPE wires and cables
	OPERATE
	 
	NIL
	CTE under Green category granted on 30.03.2009 for the activity of welding equipments.. Now applied for mfg of PVC, welding and XLPE wires and cables
	Ask the unit to apply for Consent to Establish.
	Ask the unit to apply for Consent to Establish under Orange category.

	34
	31384
	09-09-2009
	NAHATA PLASTICS
	SHED NO 29, 42-DLF
	KIRTI NAGAR INDUSTRIAL AREA
	Mfg. of plastic dana (fresh dana)
	RENEWAL
	 
	 
	GW: 300 ltrs/ day
earlier CTO & CTO-R issued
	Refer to DJB for ground water extraction.
	Case be considered after implementation of decision of Scrutinizing Committee.

	35
	31387
	09-09-2009
	K D METAL INDUSTRIES
	PLOT NO. A-55,
	JHILMIL INDUSTRIAL AREA
	Mfg of copper wire drawing
	OPERATE
	 
	Nil
	Unit had CTO  valid upto 10.9.06.Applied for CTO (R)  on 1.9.06 and again on 9.9.09  after expiry of 3 years from 1.9.06.
	Ask the unit to apply for Consent to Establish.
	Case be considered after implementation of decision of Scrutinizing Committee.

	36
	31389
	09-09-2009
	KUMAR INDUSTRIES
	PLOT NO F-55, POCKET-B, SECTOR-4, DSIDC
	BAWANA INDUSTRIAL AREA
	Mfg. of Plastic moulded Goods and dies without trade effluent
	OPERATE
	 
	NIl
	CTE granred and valid up to 09-09-2008
	Recommended for grant of consent to operate.
	Issue consent to operate. Warning letter may be issued for the delayed submission of the consent application.

	37
	31391
	09-09-2009
	EM ESS ELECTRICALS
	A-9
	NANGLOI DSIDC INDUSTRIAL AREA
	Mfg. of PVC insulated wires & cables
	RENEWAL
	 
	 
	GW: 300 ltrs/ day
CTO-R issued.
	Refer to DJB for ground water extraction.
	Case be considered after implementation of decision of Scrutinizing Committee.

	38
	31392
	09-09-2009
	SAKSHI METAL
	PLOT NO 1/536/E-2, GALI NO 4
	FRIENDS COLONY INDUSTRIAL AREA
	Aluminium wire drawing
	OPERATE
	 
	Nil
	Applied afresh.
Applied for CTE on 25.3.09 vide ID No. 29356.
	Recommended for grant of consent to operate and consent to establish. 
	Issue Consent to Operate and Consent to Establish.

	39
	31395
	09-09-2009
	RAINBOW INDUSTRIES
	PLOT NO 19, GALI NO 8
	FRIENDS COLONY INDUSTRIAL AREA
	Mfg of PVC clear tube by extruder/ tubing m/c
	RENEWAL
	Issue SCN u/s 21 of the Air Act and u/s 25/26 of the Water Act for not obtaining consent. Call on 19.08.2009
	Nil
	Unit has submitted an application for CTO ® on 09.09.2009 in compliance of SCN u/s 21 of Air Act u/s 25/26 of Water Act issued.
	Recommended for grant of renewal of consent. Thereafer, inspection be carried out.
	Inspection be conducted before deciding consent.

	40
	31397
	09-09-2009
	SAN PRODUCTS
	PLOT NO 340-A/24, GALI NO 1-A
	FRIENDS COLONY INDUSTRIAL AREA
	Mfg of PVC compound
	RENEWAL
	Ask the unit to apply for renewal of Consent. Call on 19.08.2009
	Nil
	Unit has submitted an application for CTO ® on 09.09.2009 in compliance of letter issued on 27.07.2009.
CTE - Not applicable.
	Recommended for grant of renewal of consent. 
	Issue renewal of consent.

	41
	31400
	09-09-2009
	OKAYA POWER LTD.
	D-7
	UDYOG NAGAR INDUSTRIAL AREA
	Charging and trading of batteries
	RENEWAL
	 
	 
	GW: Nil
DG Set 1 X 140 KVA installed 
CTO issued on 24.05.07 valid upto 31.08.09.
	Ask the unit to apply for Consent to Establish.  Also inspection be conducted to know the present status.
	Case be considered after implementation of decision of Scrutinizing Committee.

	42
	31402
	09-09-2009
	PAUL MANUFACTURING COMPANY
	C-278, PHASE-II
	MAYAPURI INDUSTRIAL AREA
	Mfg. of baby nipples
	RENEWAL
	 
	100 ltrs/day
	GW: 100 ltrs/day
DG Set : 100 KVA installed
Earlier CTO & CTO-R issued,
	Refer to DJB for ground water extraction.
	Case be considered after implementation of decision of Scrutinizing Committee.

	43
	31403
	09-09-2009
	PREMIER ENGINEERING WORKS
	B-136, PHASE-I
	OKHLA INDUSTRIAL AREA
	mfg. of machines without spray painting.
	RENEWAL
	 
	nil
	CTE not applied.
	Ask the unit to apply for Consent to Establish.
	Case be considered after implementation of decision of Scrutinizing Committee.

	44
	31404
	10-09-2009
	NARESH INDUSTRIES
	A-52, GROUP
	WAZIRPUR INDUSTRIAL AREA
	Fabric Dyeing & Bleaching
	OPERATE
	CMC(Orange) dated 29.04.2009 decided to ask the unit to apply fresh application for renewal of consent.
	8200 ltr day
	CTE issued on 07.11.2009.
CGWA permission obtained.
	Recommended for grant of consent to operate.
	Inspection be conducted before deciding consent to operate.

	45
	31405
	10-09-2009
	OMAXE SQUARE
	PLOT NO. 14, JASOLA
	NC-S
	Commercial complex
	OPERATE
	CMC earlier decided that the unit would not stard its operation without obtaining CTO.
	Not filled up
	Built up area of the mall is 11431 sqm.
Ground water column is not filled up.
As per CMC decision, letter issued to the unit on 18.04.2009
Reply received on 29.06.2009
	Inspection be conducted.
	Case be considered after implementation of decision of Scrutinizing Committee.

	46
	31408
	10-09-2009
	PAINTWELL INDUSTRIES
	9, DSIDC SHEDS, SCHEME-I, PHASE-II
	OKHLA INDUSTRIAL AREA
	powder coating including phosphating.
	RENEWAL
	 
	nil
	CTE not applied. Applied for HWM.
	Ask the unit to apply for Consent to Establish and also to confirm the source of water. 
	Case be considered after implementation of decision of Scrutinizing Committee.

	47
	31409
	11-09-2009
	STANDARD INDUSTRIAL CORPORATION
	T-4/7, PHASE-I
	MANGOL PURI INDUSTRIAL AREA
	Mfg. of tractor parts (pressure die casting
	RENEWAL
	 
	250 ltr day
	CTO valid upto 21.08.2006.
CTR granted and valid up to 21-08-2009
Applied for CTR on 21-08-2006.
	Refer to DJB for ground water extraction.
	Case be considered after implementation of decision of Scrutinizing Committee.

	48
	31410
	11-09-2009
	DIC INDIA LIMITED
	7,  DLF INDUSTRIAL AREA, SHIVAJI MARG
	NAJAFGARH ROAD INDUSTRIAL AREA
	Non flexo graphic ink manufacturing
	RENEWAL
	Decision on 16.03.09
Ask the unit to apply for consent to establish, noise monitoring report of D.G. Set from approved laboratories of DPCC and affidavit for source of water supply.
Decision on 11.05.09
 Issue reminder for full complaince
Decision on 24.06.09
Ask the unit to file full complaince within one month
	Nil
	DG Set 125 KVA
Letter issued on 21.07.09.
Unit has applied for CTO-R on 11.09.09.
Earlier CTO issued on 30.01.2003 by name of M/s Coats of India. Unit submitted documents regarding change of name of the firm.
	Issue SCN for refusal.
	Issue SCN for refusal. Also Inspection be conducted.

	49
	31411
	11-09-2009
	JAGAT INDUSTRIES
	SHED NO. 14-15, 42, DLF
	KIRTI NAGAR INDUSTRIAL AREA
	mfg. of packaging machines
	RENEWAL
	 
	Nil
	GW : NIL
DG Set 100KVA installed
Earlier CTO & CTO-R issued,
	Recommended for grant of renewal of consent. 
	Issue renewal of consent.

	50
	31412
	11-09-2009
	VEE KAY INDUSTRIES
	C-47
	WAZIRPUR INDUSTRIAL AREA
	Mfg. of rail track Items
	RENEWAL
	 
	NIl
	
CTO granted  and valid up to 01-08-2005
Applied CTR on 29-07-2005
Not applied for CTE.
	Ask the unit to apply for Consent to Establish.
	Case be considered after implementation of decision of Scrutinizing Committee.

	51
	31413
	11-09-2009
	A P INDUSTRIES
	6/13
	KIRTI NAGAR INDUSTRIAL AREA
	Job work of machining & welding (machine assembling)
	RENEWAL
	 
	Nil
	GW: Nil
Earlier CTO & CTO-R issued,
	Recommended for grant of renewal of consent. 
	Issue renewal of consent.

	52
	31414
	11-09-2009
	ROTOPACK INDUSTRIES
	B-41, PHASE-I
	MAYAPURI INDUSTRIAL AREA
	Job work of machining & welding 
	RENEWAL
	 
	Nil
	GW : NIL
DG Set 62.5 KVA installed
 unit has not applied under HWM Rules
Earlier CTO issued on 19.12.03 valid upto 22.10.06
unit has applied fro CTO -R on 15.09.06
	Ask the unit to apply for Consent to Establish and authorization under HWM Rules due to painting.
	Case be considered after implementation of decision of Scrutinizing Committee.

	53
	31415
	11-09-2009
	V K ENGINEERING WORKS
	10/63 C
	KIRTI NAGAR INDUSTRIAL AREA
	Assembling of Road Rollers , Road machines
	RENEWAL
	 
	Nil
	Unit has aplied for CTO on 04.09.06 vide ID no. 19207
	Ask the unit to apply for Consent to Establish.
	Case be considered after implementation of decision of Scrutinizing Committee.

	54
	31416
	11-09-2009
	SSJS MECHANICAL WORKS
	6/13
	KIRTI NAGAR INDUSTRIAL AREA
	Mfg. of Plastic Moulding Machines
	RENEWAL
	 
	Nil
	
Earlier CTO & CTO-R issued,
	Recommended for grant of renewal of consent. 
	Issue renewal of consent.

	55
	31417
	11-09-2009
	ROTOFIL INDUSTRIES
	11, DLF INDUSTRIAL AREA, MOTI NAGAR
	NAJAFGARH ROAD INDUSTRIAL AREA
	Mfg. of packaging machines
	RENEWAL
	 
	Nil
	DG st of 125 KVA installed

Earlier CTO & CTO-R issued,
	Recommended for grant of renewal of consent. 
	Issue renewal of consent.

	56
	31419
	11-09-2009
	SUPER FINE COATINGS
	E-147, PHASE-II
	MAYAPURI INDUSTRIAL AREA
	Zinc electroplating job work
	OPERATE
	 
	800ltrs/day
	No DG Set 
Applied for CTE vide ID no 
	Refer to DJB for ground water extraction. Also inspectionbe conducted.
	Case be considered after implementation of decision of Scrutinizing Committee.

	57
	31420
	11-09-2009
	DEOR METAL INDUSTRIES PVT. LTD.
	16-17/340, AMRIT STEEL COMPOUND, GALI NO 1B
	FRIENDS COLONY INDUSTRIAL AREA
	Mfg of door fitting, grass builder, hard ware items with electroplating & buffing.
	RENEWAL
	Ask the unit to install flow measuring device and submit an adequacy report of ECS from empanelled consultant of DPCC. Call on 19.08.2009
	Nil
	Unit has submitted a reply and photographs in compliance of letter issued on 24.07.2009.
CTE application dt 8.5.09 (ID No.29811) is lying pending.
	Ask the unit to file adequacy report of ECS from approved consultants of DPCC.
	Case be considered after implementation of decision of Scrutinizing Committee.

	58
	31421
	14-09-2009
	HIMACHAL PRADESH HORTICULTURAL PRODUCE MARKETING & PROCESSING CORPORATION LTD.
	C-1,2,3,
	LAWRENCE ROAD INDUSTRIAL AREA
	Cold Storage & sale of processed products
	RENEWAL
	 
	200l/day
	Applied for CTR on 31.05.2005
CTE not obtained.
CTO granted & valid upto 31.08.2004
	Refer to DJB for ground water extraction. Also ask the unit to apply for Consent to Establish.
	Case be considered after implementation of decision of Scrutinizing Committee.

	59
	31423
	14-09-2009
	CENTAUR HOTEL & CHEFAIR FLIGHT CATERING
	IGI AIRPORT
	NC-SW
	Five star hotels & Flight catering
	RENEWAL
	 
	505 KLD
	Earlier CTO issued on 17.01.03 validupto 21.07.05.  CTO-R issued on 01.06.06 valid upto 01.08.08.
Unit has submitted NMR, SMR, Effluent Analysis report and adequacy report of ETP.
	Refer to DJB for ground water extraction. 
	Case be considered after implementation of decision of Scrutinizing Committee.

	60
	31424
	14-09-2009
	BAJRANG FLOUR MILLS
	P-19, SECTOR-01, DSIDC
	BAWANA INDUSTRIAL AREA
	Mfg of wheat atta(flour mill)
	OPERATE
	 
	NIL
	CTE granted & valid upto 13.02.2004 
CTO valid upto 15.09.2006
CTR valid upto 15.09.2009.
Submitted adequacy report dated 31.08.09 & MR dated 31.08.09 meeting the norms.
	Recommended for grant of renewal of consent.
	Issue renewal of consent.

	61
	31426
	14-09-2009
	SUPREME FAB
	B-73, PHASE-I
	MAYAPURI INDUSTRIAL AREA
	Job work of washing and dyeing of Ready made garments.
	OPERATE
	 
	26.5 KLD
	Earlier CTE issued on 11.03.05 valid upto 10.03.06. Unit has also applied for CTO on 14.08.06 vide I.D.No  19041. 
Unit has submitted NMR, SMR, Effluent Analysis report and adequacy report of ETP.
	Refer to DJB for ground water extraction. 
	Case be considered after implementation of decision of Scrutinizing Committee.

	62
	31427
	14-09-2009
	MAYUR PLASTICS
	C-178, PHASE-II
	MAYAPURI INDUSTRIAL AREA
	mfg. of plastic Injection Moulded Goods.
	RENEWAL
	 
	300 ltrs/day
	Earlier CTO issued on 05.11.04 valid upto 13.10.07
	Refer to DJB for ground water extraction. Also ask the unit to apply for Consent to Establish.
	Case be considered after implementation of decision of Scrutinizing Committee.

	63
	31432
	14-09-2009
	SUPER REPROGRAPHICS PVT. LTD.
	C-411, DSIDC
	NARELA INDUSTRIAL AREA
	Spices grinding & packing
	RENEWAL
	 
	150l/day
	CTO valid uptto 23.05.07 & CTR valid upto 14.09.09
.
	Refer to DJB for ground water extraction. 
	Case be considered after implementation of decision of Scrutinizing Committee.

	64
	31435
	14-09-2009
	VIKAS FOOD
	H-1329, DSIDC
	NARELA INDUSTRIAL AREA
	Dal mill
	OPERATE
	 
	300l/day
	CTO valid upto 25.07.2005 & CTO  valid upto 27.07.09. AR & MR shows parameters within limit.
	Refer to DJB for ground water extraction. 
	Case be considered after implementation of decision of Scrutinizing Committee.

	65
	31438
	15-09-2009
	KAMLAX POLYTEX (P) LTD.
	C-2
	SMA INDUSTRIAL AREA
	Mfg of HD/PP Bags & sacks.
	RENEWAL
	 
	NIL
	CTR valid upto 15.07.2006 & CTR valid upto 16.08.2009. Using fresh raw material.
	Recommended for grant of renewal of consent.
	Issue renewal of consent with the condition that the unit will comply with the provisions of The Delhi Degradable Plastic Bag Act, 2000 envisaging the minimum thickness of plastic bag as 40 micron and size as 8" x 12". Warning letter may be issued for the delayed submission of the consent application for renewal.

	66
	31439
	15-09-2009
	UNITED BROTHER
	J-5/B-1,
	MOHAN CO-OPERATIVE INDUSTRIAL AREA
	mgf of pressure cooker with buffing and anodizing
	RENEWAL
	               30.01.2009
Ask the unit to apply for Consent to Establish and SIT to inspect and report. Call on 18.03.2009
                15.06.2009
Issue SCN for closure on the basis of SIT report. Call on 12.08.2009
	1200 Lt/day
	Unit submitted to CTR with anodizing as observed during inspection. Two times CTO granted. GW used, certificate from CGWA submitted. CTE applied on 17.03.09. ETP installed, Adequacy report submitted. As per information submitted in application.
	Recommended for grant of renewal of consent and consent to establish.
	Issue renewal of consent and consent to establish.

	67
	31440
	15-09-2009
	UNIBROS PVT. LTD.
	A-48,
	MOHAN CO-OPERATIVE INDUSTRIAL AREA
	mgf of pressure cooker with buffing 
	RENEWAL
	 
	300 ltrs/day
	CTO granted earlier was valid upto 25.07.05. CTE not applied, GW used, no certificate/ permission submitted as per information provided. 
	Refer to DJB for ground water extraction. Also ask the unit to apply for Consent to Establish.
	Case be considered after implementation of decision of Scrutinizing Committee.

	68
	31443
	15-09-2009
	RAJU ENTERPRISES
	B-244 (BACK SIDE), PHASE-I
	NARAINA INDUSTRIAL AREA PH-I
	Mfg. and electroplating on electricals appliances
	RENEWAL
	 
	350 ltrs/day
	CTE issued on 01.08.05  valid upto 31.07.06. 
Unit has also applied for CTO on 22.09.06 vide I.D.No  19413. 
Unit has also applied for authorisation under HWM rules 0n 15.09.09.. ETP installed ,adequacy submitted.
	Refer to DJB for ground water extraction. 
	Case be considered after implementation of decision of Scrutinizing Committee.

	69
	31444
	15-09-2009
	JAIN INDUSTRIES
	C-47
	WAZIRPUR INDUSTRIAL AREA
	Mfg of rail track items(Elastic rail clip)
	RENEWAL
	 
	NIL
	CTO valid upto 01.08.2005 & CTR applied on 29.07.2005. Using oil fired furnace for hardening and oil for quenching in oil tank.
	Inspection be carried out to check the pollution potential specifically w.r.t. trade effluent discharge.
	Case be considered after implementation of decision of Scrutinizing Committee.

	70
	31445
	15-09-2009
	HANS RAJ TANEJA
	H-34
	UDYOG NAGAR INDUSTRIAL AREA
	Mfg. of All kinds of PVC Footwears.
	RENEWAL
	 
	NIL
	Earlier CTO isjsued on 30.10.03 valid upto 24.09.06.
CTO-R issued on 25.08.06 valid upto 24.09.09
No D.G Set.
	Recommended for grant of renewal of consent.
	Issue renewal of consent.

	71
	31446
	15-09-2009
	DASHMESH INTERNATIONAL
	B-139, PHASE-I
	MAYAPURI INDUSTRIAL AREA
	Mfg. of Filter Machinery Plants.
	RENEWAL
	 
	NIL
	Consent (CTO-R) under green categorry refused on 25.11.08 vide refusal no.33.
CTO-R issued under orange category on 20.09.06 vaid upto 28.08.09.
No D.G.Set, No trade effluent.
	Recommended for grant of renewal of consent.
	Issue renewal of consent. Warning letter may also be issued for the delayed submission of the consent application for renewal.

	72
	31451
	15-09-2009
	DEVKEE POLYMERS PVT. LTD.
	PLOT NO 340A/32, GALI NO 1A
	FRIENDS COLONY INDUSTRIAL AREA
	Roto grovure printing
	RENEWAL
	17.06.2009
Issue reminder. Call on 19.08.2009
	Nil
	Applied for CTE on 10.06.09 & renewal of  authorization under HWM Rules on 19.08.09.
 in compliance of letter issued on 22.04.2009.
GW-NIL
	Recommended for grant of renewal of consent, consent to establish and authorization under HWM Rules.
	Issue renewal of consent, consent to establish and authorization under HWM Rules.

	73
	31454
	15-09-2009
	KANOJIA ENGG. WORKS
	PLOT NO 25, POCKET-K, SECTOR-3
	BAWANA INDUSTRIAL AREA
	Mfg of Auto accessories(semi finished)  & job work iron & plastic moulded items
	OPERATE
	 
	NIL
	CTE valid upto 16.06.2005 & CTO applied on 10.06.2005.
CTO applied on 12.05.2009
	Inspection be carried out to check the pollution potential.
	Case be considered after implementation of decision of Scrutinizing Committee.

	74
	31455
	15-09-2009
	NARAYAN POLISHING
	PLOT NO. 56 (PRIVATE NO. A-15),  RAMA ROAD
	NAJAFGARH ROAD INDUSTRIAL AREA
	job work of electoplating and powder coating.
	OPERATE
	 
	500 ltrs/day
	CTE issued on 24.08.05 valid upto 12.05.06. 
Unit has applied for CTO on 28.08.06 vide  I. D. No.  19094  , again applied for CTO on 15.09.09. 
No D.G Set,trade effluent discharge is 350 ltrs/day, Adequacy submitted.      
	Refer to DJB for ground water extraction. 
	Case be considered after implementation of decision of Scrutinizing Committee.

	75
	31459
	16-09-2009
	CRUPP METAL
	PLOT NO. 64, PHASE-II
	BADLI INDUSTRIAL ESTATE
	Mfg of plastic moulded goods(comb)
	RENEWAL
	 
	-
	CTO valid upto 30.06.09 & CTR uoto 29.04.2009.Using fresh raw material.
	Recommended for grant of renewal of consent.
	Issue renewal of consent.

	76
	31460
	16-09-2009
	SUBH LAXMI PLASTIC INDUSTRIES
	PLOT NO. 64, PHASE-II
	BADLI INDUSTRIAL ESTATE
	Mfg of plastic moulded goods(comb)
	RENEWAL
	 
	-
	CTO valid upto 21.04.2003 & CTR valid upto 03.03.2006. Using fresh raw material.
	Recommended for grant of renewal of consent.
	Issue renewal of consent.

	77
	31461
	16-09-2009
	A N POLYMERS PVT. LTD.
	A-54, PHASE-I
	NARAINA INDUSTRIAL AREA PH-I
	Mfg. of Plastic products by injection moulding
	OPERATE
	 
	1100 Ltrs. /day
	DG set of 120 KVA installed.
NMR submitted
Unit has already obtained CTE.
	Refer to DJB for ground water extraction. 
	Case be considered after implementation of decision of Scrutinizing Committee.

	78
	31463
	16-09-2009
	BHARAT ADHESIVES
	36 A, PHASE-II
	MAYAPURI INDUSTRIAL AREA
	MANUFACTURING INDUSTRIAL ADHESIVE
	OPERATE
	 
	100 Ltrs./ day
	DG Set of 30 KVA installed 
NMR submitted.
Unit has also apllied for CTO on 10.11.06
	Refer to DJB for ground water extraction. Also ask the unit to apply for Consent to Establish.
	Case be considered after implementation of decision of Scrutinizing Committee.

	79
	31466
	16-09-2009
	HINDUSTAN PETROLEUM CORPORATION LTD.
	SHAKURBASTI INSTALLATION, ROHTAK ROAD,
	NC-W
	Storage reffiling & distribution of petroleum products
	RENEWAL
	 
	NIL
	 
	Refer to DJB for ground water extraction. Also ask the unit to apply for Consent to Establish.
	Case be considered after implementation of decision of Scrutinizing Committee.

	80
	31467
	16-09-2009
	JAISWAL PRODUCTS
	442-443,
	PATPARGANJ INDUSTRIAL AREA
	Mfg of chewing tobaco.
	OPERATE
	 
	NIL
	Applied a fresh.
CTE is yet to be issued, as per decision of CMC (Orange) on 09.09.09. 
GW-NIL
	Recommended for grant of Consent to Operate. 
	Issue consent to operate for the premises no. 442 only as consent to establish has been obtained for this address only.

	81
	31468
	16-09-2009
	LALLY AUTOMOBILES PVT LTD.
	15-16, PHASE-II
	OKHLA INDUSTRIAL AREA
	Servicing of cars with washing
	OPERATE
	                    16.03.2009
Ask the unit to apply for Consent to Operate,  file permission from Central Ground Water Authority for extracting the ground water and adequacy report of ETP and noise monitoring report of D.G. Set from empanelled consultants / approved laboratories of DPCC. Call on 29.04.2009.
                     11.05.2009
Ask the unit to apply authorizaton under HWM Rules and  full compliance of earlier CMC decision. Call on 24.06.2009
                        24.06.2009
Ask the unit to file full compliance within 01 month. Call on 26.08.2009
	 
	CTE applied on 12.04.07 and is pending. Test report of waste water submitted, Adequacy report submitted, GW used as per adequcay report from DCE. In consent application  GW is shown nil. GW permission not submitted..Stack height of DG of 125 Kva is .2 mt above acoustic a per NMR. HWM applied.
	Inspection be conducted to ascertain the ground water extraction in view of contradiction in adequacy report and consent application.
	Case be considered after implementation of decision of Scrutinizing Committee.

	82
	31469
	17-09-2009
	SWISS LAMPS PVT. LTD.
	3,
	SSI INDUSTRIAL AREA
	Mfg of plastic & bakelite moulded auto parts
	OPERATE
	 
	-
	CTE applied on 04.06.2009 
Using bakelite powder as raw material.
	Recommended for grant of Consent to Operate and Consent to Establish.
	Issue Consent to Operate and Consent to Establish.

	83
	31472
	17-09-2009
	K R F LIMITED
	B-22, PHASE-II
	MAYAPURI INDUSTRIAL AREA
	MFG OF PLASTIC HANGERS RUBBER BUTTONS PATCHES METAL BUTTONS BADGES AND LEATHER PATCHES
	OPERATE
	 
	Nil
	No DG set installed.

Unit has also applied for consent to establish on 23.07.09
	Recommended for grant of Consent to Operate and Consent to Establish.
	Issue Consent to Operate and Consent to Establish.

	84
	31473
	17-09-2009
	RAJ HOTEL
	BC-4, PHASE-II
	MANGOL PURI INDUSTRIAL AREA
	Mfg of sanitary goods(plastic goods)
	RENEWAL
	 
	NIL
	CTE valid upto 25.07.03 & CTO uoto 17.07.2009.Using fresh raw material.
	Recommended for grant of renewal of consent.
	Issue renewal of consent.

	85
	31475
	17-09-2009
	CITI THREADS INDIA PVT. LTD.
	A-15
	JHILMIL INDUSTRIAL AREA
	Mfg of sewing threads (including Dyeing)
	OPERATE
	 
	NIL
	Applied afresh for  CTO & CTE on 17.09.2009 & 02.07.2009 resp with adequacy report
Also applied for authorization under HWM Rules on 02.07.2009
GW- NIL
	Recommended for grant of Consent to Operate, Consent to Establish and authorization under HWM Rules.
	Issue Consent to Operate, Consent to Establish and authorization under HWM Rules.

	86
	31477
	17-09-2009
	SHIV SHAKTI PLASTIC
	PLOT NO. 238, PKT-C, SEC-5, DSIDC
	BAWANA INDUSTRIAL AREA
	Mfg of PVC wires & cables
	OPERATE
	 
	NIL
	CTE applied on 21.10.2008
	Recommended for grant of Consent to Operate and Consent to Establish.
	Issue Consent to Operate and Consent to Establish.

	87
	31479
	17-09-2009
	RUHANI HOSPITALITY "THE KITCHEN (RESTAURANT)"
	75, KHAN MARKET
	NC-ND
	restaurant 
	OPERATE
	 
	 
	fresh application,CTE applied on 17.9.2009. Seating Capacity-27, GW-nil, DG-nil, Trade Effluent-1000Lt/Day as per information given in application
	Inspection be conducted. 
	Issue consent to operate.

	88
	31480
	17-09-2009
	MGS HOSPITALITY PLOOF RESTAURANT
	13, MAIN MARKET, LODHI ROAD
	NC-ND
	restaurant 
	OPERATE
	 
	 
	Seating Capacity-72,  Appliied for CTO on 17/7/06 & 17/9/09, GW-Nil, DG-Nil, Hood & Suction and Oil & Grease trap installed as per information submitted
	Inspection be conducted. 
	Case be considered after implementation of decision of Scrutinizing Committee.

	89
	31482
	18-09-2009
	JINDAL FOOTWEAR INDUSTRIES
	H-15
	UDYOG NAGAR INDUSTRIAL AREA
	MFG OF ALL KINDS OF FOOTWEAR
	RENEWAL
	 
	Nil
	No DG set installed

Earlier CTO was issued vide order no. 7462 to M/s Jindal Marketing Corporation for the activity of Mfg. of PVC footwears.
 
Again CTO  was issued to vide order no.17173 to M/s Jindal Footwear Industries for the activity of All Kinds of Footwears  
	Inspection be conducted. 
	Case be considered after implementation of decision of Scrutinizing Committee.

	90
	31483
	18-09-2009
	JINDAL ENTERPRISES
	H-15
	UDYOG NAGAR INDUSTRIAL AREA
	MFG OF ALL KINDS OF FOOTWEAR
	RENEWAL
	 
	Nil
	No DG set installed

Earlier CTO was issued vide order no. 7976 to M/s Jindal Industries for the activity of Mfg. of PVC footwears.
 
Again CTO  was issued to vide order no.17730 to M/s Jindal Enetrprises for the activity of All Kinds of Footwears  
	Inspection be conducted. 
	Case be considered after implementation of decision of Scrutinizing Committee.

	91
	31484
	18-09-2009
	BHARAT PLASTIC INDUSTRIES
	PLOT NO. I-1, DSIIDC, PHASE-III
	BADLI INDUSTRIAL ESTATE
	Mfg of plastic products(furniture,cane,sutli)
	RENEWAL
	 
	200l/day
	CTO valid upto 21.09.2006 & CTR valid upto 21.09.09. Using fresh raw material.
	Recommended for grant of renewal of consent.
	Refer to DJB for ground water extraction.

	92
	31488
	18-09-2009
	JAI GANESH INDUSTRIES
	A-38/1, PHASE-I
	MAYAPURI INDUSTRIAL AREA
	POLYTHENE BAG
	RENEWAL
	 
	Aprrox. 200 Ltrs. /day 
	No DG set installed
Unit has also applied for CTO-R on 15.06.06 & for Authorization- Plastic Bags on 17.05.06.
Sample of Plastic tube & pouches were collected and thickness were 45 microns each.
Unit has already obtained CTE
	Refer to DJB for ground water extraction.
	Case be considered after implementation of decision of Scrutinizing Committee.

	93
	31490
	18-09-2009
	VISHAL MEGA MART (VISHAL RETAIL LTD.)
	10209/10210, PADAM SINGH ROAD, KAROL BAGH
	NC-C
	Retailing (Trading)
	OPERATE
	CMC(Orange) decided to ask the unit to apply for consent to operate and submit noise monitoring report.
	 
	Letter issued.
Unit has applied for CTO.
Applied for Consent to Establish on 22.09.2008 vide I.D. No. 27491.
Ground Water : Nil
	Recommended for grant of Consent to Operate and Consent to Establish.
	Issue Consent to Operate and Consent to Establish.

	94
	31491
	18-09-2009
	VISHAL MEGA MART (VISHAL RETAIL LTD.)
	KH. NO 735, L-10, MAHIPALPUR, MEHARAULI ROAD, VILLAGE MAHIPALPUR, TEHSIL-VASANT VIHAR
	NC-SW
	Retailing (Trading)
	OPERATE
	Ask the unit to install  Septic Tank.
	NIL
	DG Set 200 KVA 
NMR submitted.
Unit has applied for CTE on 22.09.08.
Unit was issued final reminder dated 26.06.09 for installation of Septic Tank.
Unit has submitted its reply stating tha they have installed the septic tank.
	Inspection be conducted. 
	Issue letter to the unit for asking affidavit regarding installation of septic tank.

	95
	31494
	18-09-2009
	UNITED OFFSET PRESS
	PLOT NO N-268, POCKET-O, SECTOR-1, DSIDC
	BAWANA INDUSTRIAL AREA
	Offset printing without trade effluent
	OPERATE
	 
	-
	CTE granted on  & valid upto 08.04.2008 under green category on 09.04.2007 for the same activity..Applied for auth under HWM rules.
	Recommended for grant of Consent to Operate and authorization under HWM Rules.
	Issue Consent to Operate and authorization under HWM Rules.

	96
	31495
	18-09-2009
	PURI BROTHERS
	PLOT NO 165, POCKET-B, SECTOR-4, DSIDC
	BAWANA INDUSTRIAL AREA
	Offset printing, screen printing without trade effluent
	OPERATE
	 
	-
	CTE granted on 09.04.2007 & valid upto 08.04.2008 under green category  for the same activity..Applied for auth under HWM rules.
	Recommended for grant of Consent to Operate and authorization under HWM Rules.
	Issue Consent to Operate and authorization under HWM Rules.

	97
	31497
	18-09-2009
	PLAZA INDUSTRIES
	PLOT NO A-7/4
	JHILMIL INDUSTRIAL AREA
	Mfg of sanitary fittings (with Casting w/o Plating) 
	RENEWAL
	 
	NIL
	Applied earlier for CTO (R) on 19.06.2006 vide I.D. No. 18502.
After expiry of three years again applied for CTO (R) on 18.09.2009. But not obtained CTE and not applied  for renewal of auth under HWM Rules. 
GW-NIL
	Ask the unit to apply for consent to establish & renewal of authorization under HWM Rules.
	It was informed to CMC that unit has obtained CTO (R),therefore, CTE is not required. Ask the unit to file adequacy report / stack monitoring report from empanelled consutant of DPCC.

	98
	31498
	18-09-2009
	METRO SANITATIONS PVT LTD
	PLOT NO A-5/10
	JHILMIL INDUSTRIAL AREA
	Mfg of Bathroom sanitary fitting with electroplating casting and buffing.
	RENEWAL
	 
	NIL
	Applied earlier for CTO (R) on 23.06.2006.
After expiry of three years again applied for CTO (R) on 18.09.2009. But not obtained CTE and not applied  for renewal of auth under HWM Rules. 
GW-NIL
	Ask the unit to apply for consent to establish & renewal of authorization under HWM Rules.
	It was informed to CMC that unit has obtained CTO (R),therefore, CTE is not required. Ask the unit to file adequacy report / stack monitoring report from empanelled consutant of DPCC.

	99
	31501
	22-09-2009
	LAXMI BUILDTEH PVT. LTD.
	PLOT NO D-1 & P-3A, SAKET
	NC-S
	Commercial Complex
	OPERATE
	                      23.04.2009
SIT has noted that the conditions, at Sl.No. (i), (ii), (iii) (vii), (x) (xi), (xii), (xiv), (xv), (xix) & (xxiv) to (xxvi) during construction phase and Sl. No (i) to (vii) & (ix) in operation phase, stipulated in Environmental Clearance have not ben complied . Ask the unit to fully comply with the Environmental Clearance's conditons. Call on 03.06.2009
                      03.06.2009
Ask the unit to apply for Consent to Operate and to follow up the recommendation of DCE regarding to get monitoring report of treated effluent once STP comes into opeartion for confirmation of Adequacy report, mentioned in the adequacy report. Call on 22.07.2009
	 
	EC obtained on 31.01.2008, CTE applied on 24.4.07 and pending. CMC decision of 18.6.08 in which ED of 40 Lakh and BG of 1.3 Crore was asked, not submitted, legal matter  is pending. MCD-181KLD GW-Nil, Dis-72 KLD, STP of 100 KL installed. NMR submitted from DCE
	Matter subjudice.
	Matter be linked with the other court cases of Shopping Mall/Construction Projects.

	100
	31502
	22-09-2009
	SHILPA INDUSTRIES
	PLOT NO. 52, POCKET-H, SECTOR-4, DSIDC
	BAWANA INDUSTRIAL AREA
	Mfg of stainless steel kitchenwares & utensils with buffing
	OPERATE
	 
	NIL
	CTE valid upto 15.10.2009.
	Ask the unit to file stack monitoring report for the emissions chennalized from the buffing process.
	Case be considered after implementation of decision of Scrutinizing Committee.

	101
	31505
	22-09-2009
	COMPACK ENTERPRISES INDIA PVT LTD.
	B-71
	GTK ROAD INDUSTRIAL AREA
	mfg of printing cartons
	RENEWAL
	 
	NIL
	CTO granted under green category on 20.04.2009
	Ask the unit to apply for Consent to Establish under Orange category.
	Case be considered after implementation of decision of Scrutinizing Committee.

	102
	31506
	22-09-2009
	COMPACK ENTERPRISES INDIA PVT LTD.
	B-60
	GTK ROAD INDUSTRIAL AREA
	mfg of printing cartons
	RENEWAL
	 
	NIL
	CTO granted under green category on 20.04.2009. 
	Ask the unit to apply for Consent to Establish under Orange category.
	Case be considered after implementation of decision of Scrutinizing Committee.

	103
	31510
	22-09-2009
	HARSH ELECTRONICS
	PLOT NO 238, POCKET-O, SECTOR-1, DSIDC
	BAWANA INDUSTRIAL AREA
	Mfg of electrical & electronic goods(bakelite switches & MCB switch gears)
	OPERATE
	 
	NIL
	CTE valid upto 09.11.2007.Trade effluent discharge  NIL.
Using bakelite powder as raw material.
	Recommended for grant of Consent to Operate. 
	Inspection be conducted within 07 days before deciding consent to operate.

	104
	31512
	22-09-2009
	BHAGWATI INDUSTRIES
	PLOT NO 200, POCKET-H, SECTOR-1, DSIDC
	BAWANA INDUSTRIAL AREA
	Mfg of surgical instruments /appliances without buffing
	OPERATE
	 
	NIL
	CTE valid upto 16.10.2007.Trade effluent discharge  NIL.
	Inspection be conducted. 
	Case be considered after implementation of decision of Scrutinizing Committee.

	105
	31513
	22-09-2009
	TECHNO INSTRUMENTS COMPANY
	PLOT NO 208, POCKET-K, SECTOR-5, DSIDC
	BAWANA INDUSTRIAL AREA
	Mfg of testing equipments & indl machinery
	OPERATE
	 
	-
	CTE valid upto 16.10.2007 As per .Project report submitted along with CTE unit will channelize the emissioms of paint booth. However, this activity is not mentioned in CTO application.
	Inspection be conducted. 
	Case be considered after implementation of decision of Scrutinizing Committee.

	106
	31521
	22-09-2009
	GROVER STEEL (INDIA)
	78
	RAJASTHAN UDYOG NAGAR INDUSTRIAL AREA
	Re-rolling of S.S sheets /flate including annealing
	RENEWAL
	 
	NIL
	CTO valid upto 15.09.2006
CTR valid upto 21.09.2009 for the same activity.NMR of D.G set & MR of furnace stack shows parameters within limit.
	Recommended for grant of renewal of consent.
	Issue renewal of consent.

	107
	31522
	22-09-2009
	YADAV PLASTIC INDUSTRIES
	E-64, POCKET-N, SECTOR-3, DSIDC
	BAWANA INDUSTRIAL AREA
	PVC compounds & plastic moulded products
	OPERATE
	 
	NIL
	CTE valid upto 16.07.2007.Using fresh raw material.
	Recommended for grant of Consent to Operate. 
	Issue consent to operate. Warning letter may be issued for the delayed submission of the consent application.

	108
	31529
	23-09-2009
	K.B.M. SPICES PVT. LTD.
	B-19
	LAWRENCE ROAD INDUSTRIAL AREA
	Grinding of spices
	RENEWAL
	 
	NIL
	CTO valid upto 24.06.2005 & CTR valid upto 04.12.2008. 
	Recommended for grant of renewal of consent.
	Issue renewal of consent. Warning letter may also be issued for the delayed submission of the consent application for renewal.

	109
	31533
	23-09-2009
	S.N.A.D.P TEXTILES PVT. LTD.
	I-2266, DSIDC
	NARELA INDUSTRIAL AREA
	Dal mill
	RENEWAL
	 
	NIL
	CTO valid upto 13.09.2007. Ar & MR of July2009 assures emissions level within limit.
	Ask the unit to apply for Consent to Establish under Orange category.
	Case be considered after implementation of decision of Scrutinizing Committee.

	110
	31534
	23-09-2009
	POMEY PLASTIC WORKS
	A-79
	GTK ROAD INDUSTRIAL AREA
	Plastic container & bottle & other plastic moulded goods
	RENEWAL
	 
	NIL
	CTO valid upto 15.07.2006 & CTR valid upto 24.06.2009
	Recommended for grant of renewal of consent.
	Issue renewal of consent. Warning letter may also be issued for the delayed submission of the consent application for renewal.

	111
	31535
	23-09-2009
	THE PARK
	15, PARLIAMENT STREET
	NC-ND
	Hotelier
	RENEWAL
	 
	100KLD. 
	CTO® valid upto 10.09.2009.
CTO valid upto 16.11.2006
CTO valid upto 31.08.2004.
Permission of CGWA/DJB submitted.
Effluent analysis report & stach monitoring report shows parameters within limit.
	Recommended for renewal of consent. Subsequently, inspection be conducted.
	Issue renewal of consent.

	112
	31537
	23-09-2009
	SHARMA ELECTROPLATING WORKS
	F-85, PHASE-III
	OKHLA INDUSTRIAL ESTATE
	Electroplating job work
	RENEWAL
	 
	MCD as per AR
	CTO granted on 20.05.03 was valid upto 22.04.06.CTR applied vide Id no 18377 is also pending, HWM applied, DG-82 Kva, GW column not filled up. NMR submitted, Test report from DPCC submitted, Adequacy report from Jamia submitted. CTE not applied
	Ask the unit to apply for Consent to Establish. 
	Case be considered after implementation of decision of Scrutinizing Committee.

	113
	31538
	23-09-2009
	K.S. ANODISERS ALUMINIUM ASSOCIATED PVT. LTD.
	267, PHASE-III
	OKHLA INDUSTRIAL ESTATE
	anodizing door & windows
	RENEWAL
	 
	MCD as per AR
	CTO issued 27.6.03 and was valid upto 2.6.06, CTR apllied 7.06.06 vide id no 18401 which is pending. CTE not applied. GW column not filled up . DG-nil, ETP adequacy report from Jamia and test report from DPCC submitted,  
	Ask the unit to apply for Consent to Establish. 
	Case be considered after implementation of decision of Scrutinizing Committee.

	114
	31541
	24-09-2009
	JANTA WIRE WORKS (INDIA)
	B-24
	JHILMIL INDUSTRIAL AREA
	Mfg of railway signaling cables
	RENEWAL
	 
	NIL
	Applied for CTO (R) on 24.09.2009.
Unit has obtained CTO & CTO (R).
GW- NIL
	Recommended for grant of renewal of consent. 
	Issue renewal of consent. 

	115
	31542
	24-09-2009
	N S CABLE INDUSTRIES
	308/1,
	SHAHZADA BAGH INDUSTRIAL AREA
	Mfg of PVC compound and PVC wire & cables.
	RENEWAL
	check
	NIL
	Applied for CTO (R) on 24.09.2009.
Unit has obtained CTO (R) twice
GW-NIL
	Recommended for grant of renewal of consent. 
	Issue renewal of consent. Warning letter may also be issued for the delayed submission of the consent application for renewal.

	116
	31547
	24-09-2009
	B.S. ENTERPRISES
	A-38/2, PHASE-I
	MAYAPURI INDUSTRIAL AREA
	Fabrication & Assembling og Gate , Grill.
	RENEWAL
	 
	NIL
	Unit has already obtained CTE & CTO.
No DG set installed.
	Recommended for grant of renewal of consent. 
	Issue renewal of consent. Warning letter may also be issued for the delayed submission of the consent application for renewal.

	117
	31549
	24-09-2009
	COMPACK ENTERPRISES INDIA PVT. LTD.
	B-36/7
	GTK ROAD INDUSTRIAL AREA
	Paper printing & card board boxes making
	OPERATE
	 
	-
	CTO refused under green category on 21.11.2008 & CTE applied on 22.09.2009
	Recommended for grant of Consent to Operate. 
	Ask the unit to apply for authorization under HWM Rules before deciding consent to operate.

	118
	31550
	24-09-2009
	BAJAJ ASSOCIATES
	308/3
	SHAHZADA BAGH INDUSTRIAL AREA
	M.S. Casted & M.S. Dies.
	RENEWAL
	 
	NIL
	Applied for CTO (R) on 24.09.2009.
Unit has obtained CTO & CTO (R).
GW- NIL
	Recommended for grant of renewal of consent. 
	Issue renewal of consent. Warning letter may also be issued for the delayed submission of the consent application for renewal.

	119
	31551
	24-09-2009
	POONAM ELECTROPLATERS
	308/3
	SHAHZADA BAGH INDUSTRIAL AREA
	Zink Phosphating
	RENEWAL
	 
	800 l/day
	Applied for CTO (R) on 24.09.2009.
Unit has obtained CTO (R)  twice.
GW- 800 l/day
	Refer to DJB for ground water extraction. 
	Case be considered after implementation of decision of Scrutinizing Committee.

	120
	31553
	24-09-2009
	BAJAJ ELECTROPLATERS
	308/5
	SHAHZADA BAGH INDUSTRIAL AREA
	Electroplating
	RENEWAL
	 
	2500 l/day
	Applied for CTO (R) on 24.09.2009.
Unit has obtained CTO (R)  twice.
GW- 2500 l/day
	Refer to DJB for ground water extraction. 
	Case be considered after implementation of decision of Scrutinizing Committee.

	121
	31554
	24-09-2009
	UNIPACK INDUSTRIES
	B-40
	GTK ROAD INDUSTRIAL AREA
	Mfg of corrugated boxes
	RENEWAL
	 
	NIL
	CTO valid upto 20.04.2009 
	Ask the unit to apply for Consent to Establish under Orange category.
	Case be considered after implementation of decision of Scrutinizing Committee.

	122
	31555
	24-09-2009
	PASRICHA PLASTICS
	C-586, DSIDC
	NARELA INDUSTRIAL AREA
	Plastic dana (reprocessing without washing)
	RENEWAL
	 
	130l/day
	CTO valid upto 25.07.2005 & CTO  valid upto 27.07.09. unit will use plastics scrap as raw material.
	Inspection be carried out to ascertain the pollution potential.
	Inspection be carried out to ascertain the pollution potential. Also refer to DJB for ground water extraction.

	123
	31556
	24-09-2009
	SOLO ENGINEERING PVT LTD.
	C-586, DSIDC
	NARELA INDUSTRIAL AREA
	Plastic dana (reprocessing without washing)
	RENEWAL
	 
	140l/day
	CTO valid upto 25.07.2005 
CTR valid upto 20.08.2009.
 unit will use plastics scrap as raw material.
	Inspection be carried out to ascertain the pollution potential.
	Inspection be carried out to ascertain the pollution potential. Also refer to DJB for ground water extraction.

	124
	31559
	25-09-2009
	GENESIS PRINTERS
	D-86, PHASE-I
	OKHLA INDUSTRIAL AREA
	Printing
	OPERATE
	 
	 
	CTE applied on 15.06.2009 vide I.D. No 30323. 
Authorization applied on …………
Ground Water : Nil
	Recommended for grant of Consent to Operate, Consent to Establish and authorization under HWM Rules.
	Issue Consent to Operate, Consent to Establish and authorization under HWM Rules.

	125
	31563
	25-09-2009
	ANIL KUMAR
	E-814,  DSIDC
	NARELA INDUSTRIAL AREA
	Mfg of PVC moulded products(without Re-processing activity)
	RENEWAL
	 
	NIL
	CTO valid upto 23.07.2005
Using fresh raw material.
	Ask the unit to apply for Consent to Establish under Orange category.
	Case be considered after implementation of decision of Scrutinizing Committee.

	126
	31566
	25-09-2009
	LAMBA ENTERPRISES PVT. LTD.
	6A
	TILAK NAGAR INDUSTRIAL AREA
	Service station of Bikes
	OPERATE
	 
	NIL
	Final reminder dated 21.07.09 was issued to the unit for complaince of earlier CMC decision wherein unit was asked to apply for CTO, file permission from DJB for ground water extraction and affidavit for installation of ETP & non installation of DG set.
Unit has applied for CTO

ETP installed 
Adequacy submitted.
No DG set installed.
Unit has submitted an affidavit stating that they are not extracting  ground water.
Unit has also applied forAuthorization under  HWM Rules on 25.09.09.
	Inspection be conducted. 
	Case be considered after implementation of decision of Scrutinizing Committee.

	127
	31567
	25-09-2009
	TIGER PLASTICS
	307/2
	SHAHZADA BAGH INDUSTRIAL AREA
	Mfg of plastic goods
	RENEWAL
	 
	NIL
	Applied for CTO (R) on 24.09.2009.
Unit has obtained CTO & CTO (R).
GW- NIL
	Recommended for grant of renewal of consent. 
	Issue renewal of consent. Warning letter may also be issued for the delayed submission of the consent application for renewal.


