Minutes of the 158th meeting of the Committee Constituted for Deciding the Consent under Orange Category, held on 07.02.2011 in the Conference Room of Chairman, DPCC.

   The following persons attended the meeting:

Sh. Dharmendra, Chairman, DPCC

Dr. A.K.Ambasht, Member Secretary, DPCC

Sh. M. Dwarakanth, SSO, Dept. of Env., GNCTD 
Sh. B. Kumar, SEE, DPCC. 
EEs of CMC –  I, II, III & IV.


AEEs of CMC – I, II, III & IV.


Prof. S. K. Gupta, IIT-Delhi could not attend the meeting. 

Following are the minutes of the meeting:- 

Agenda Item No. 1- Fresh Consent to Operate/ Renewal cases under Orange category w.e.f. 01.10.2010 excluding the cases of redevelopment areas considered by Scrutinizing Committee on 06.01.2011. ( 95 cases)
Decisions recommended with respect to this agenda are tabulated and annexed as Annexure – 1. 

Agenda Item No. 2- Inspection conducted in compliance of earlier CMC's decisions considered by Scrutinizing Committee on 06.01.2011. ( 38 cases)
Decisions recommended with respect to this agenda are tabulated and annexed as Annexure – 2. 

Agenda Item No. 3-  Consent to Establish cases under Orange category  w.e.f. 01.11.2010 excluding the cases of  redevelopment areas considered by Scrutinizing Committee on 31.01.2011 / 01.02.2011 ( 82 cases)
. 

This agenda could not be taken up by the Committee, due to paucity of time, and it was decided to take up the same in the next meeting.

Agenda Item No. 4- Consent to Operate/ Renewal cases under Orange category  w.e.f. 01.11.2010 excluding the cases of redevelopment areas considered by Scrutinizing Committee on 31.01.2011 / 01.02.2011 ( 110 cases)
This agenda could not be taken up by the Committee, due to paucity of time, and it was decided to take up the same in the next meeting.

Agenda Item No. 5- Special Reference Cases considered by Scrutinizing Committee on 31.01.2011 / 01.02.2011 (01 case)
Decisions recommended with respect to this agenda are tabulated and annexed as Annexure – 3. 
Agenda Item No. 6- Cases processed administratively for putting up in CMC, considered by Scrutinizing Committee on 31.01.2011 / 01.02.2011 (08 cases)
Decisions recommended with respect to this agenda are tabulated and annexed as Annexure – 4. 

Agenda Item No. 7- Inspection conducted in compliance of earlier CMC's decisions, considered by Scrutinizing Committee on 31.01.2011 / 01.02.2011 (13 cases)
Decisions recommended with respect to this agenda are tabulated and annexed as Annexure – 5. 

Table Agenda Item No 1:- M/s HRA E-waste Private Limited, A-60, 1st Floor, Jhilmil Industrial Area, New Delhi.
Inspection be conducted.
Meeting ended with thanks to the chair.
	S. No.
	Enquiry Counter I.D. No
	Application Date
	Industry Name
	Industry Address
	Industrial Area
	Category
	Activitiy / Product
	Remarks / Action Taken / ATR
	Recommendations of Scrutinizing Committee on 06.01.2011
	Decision recommended by CMC(Orange) on 07.02.2011

	1
	35279
	01-10-2010
	SHIVALIK OFFSET PRESS
	18 A/2, NARAINA INDUSTRIAL AREA PHASE - II
	Naraina Industrial Area Phase - II
	Orange Renewal
	OFFSET PRINTING
	30-12-2010 : Details: CTE :Applied on 01.10.2010 vide IDD no. 35280 Water Consumption : 0.3 KLd Waste Water generation : (a) Domestic effluent: 0.2 KLd (b) Trade effluent: nil Date of Commissioning: 1986 ETP : N/A Test Report (Water) within limit :NA Test Report (Air) within limit : NA NMR submitted : NA GW: 300 LPD ATR/Remarks: Earlier CTO and CTO_R issued valid upto 10.04.2010 Applied for fresh authorization under HWM rules on 01.10.2010 vide ID no 0435
	Recommended for grant of renewal of consent, consent to establish and authorization under HWM Rules. Inform to DJB regarding ground water extraction. 
	Issue  renewal of consent, consent to establish and authorization under HWM Rules. Inform to DJB regarding ground water extraction. 

	2
	35286  
	01-10-2010
	RACHNA MOTORS
	B-8/1 BADLI INDUSTRIAL ESTATE
	Badli Industrial Estate
	Orange Renewal
	SERVICING OF VEHICLES.
	08-12-2010 : Details of Case: CTE : Valid upto 08.03.2005 Water Consumption : 3250 ltr/day Waste Water generation : (a) Domestic effluent: 150 ltr/day (b) Trade effluent: 3000 ltr/day Date of Commissioning: 2004 ETP : Yes Test Report (Water) within limit : Yes Test Report (Air) within limit : N/A NMR submitted : N/A ATR: CTO granted on 15.10.2004 and valid upto 05.10.2007. CTR applied on 15.10.2007.
	Recommended for grant of renewal of consent and authorization under HWM Rules. 
	Issue renewal of consent and authorization under HWM Rules. Inform to DJB regarding ground water extraction. 

	3
	35289  
	04-10-2010
	GARG PLASTICS
	H-21,SEC-4,BAWANA INDUSTRIAL AREA
	Bawana Industrial Area
	Orange Operate
	Mfg. of All Kind of Footwear (PVC EVA Leather and sports shoes)
	08-12-2010 : CTE : Yes Valid from 13-10-2009 to 12-10-2010 Water Consumption : 205 lpd Waste Water generation : (a) Domestic effluent: 200 lpd (b) Trade effluent: NIL Date of Commissioning:2009 ETP : NA Test Report (Water) within limit : NA Test Report (Air) within limit : NA NMR submitted : NA
	Recommended for grant of consent to operate. 
	Issue  consent to operate with the condition to provide hood & suction arrangement followed by a duct raised well above the roof levels (at least 2.0 meter above roof level) to channelize the process emissions and submit an compliance report on an affidavit within 06 months. 

	4
	35290  
	04-10-2010
	S.S. INDUSTRIES
	PLOT NO 112, POCKET-1, DSIDC BAWANA INDUSTRIAL AREA
	Bawana Industrial Area
	Orange Operate
	Manufacturing of Aluminum die Casting.
	08-12-2010 : CTE : Pending applied on 29.12.2009. Water Consumption :300 lpd Waste Water generation : (a) Domestic effluent: 100 lpd (b) Trade effluent: Nil Date of Commissioning:Dec 2009 ETP : NA Test Report (Water) within limit : NA Test Report (Air) within limit : NA NMR submitted : NA Earlier Decisions 25.01.2010 Inspection be conducted 27.04.2010 Issue SCN U/s 31(A) for closure 13.08.2010 Issue closure dir. As the time sought by the unirt for rectification of the deficiencies already expired. On 11.10.2010 Submitted BG of Rs 1 lakh on 2.11.2010, revocation of closure dir issued
	Decision be deferred till clarification from DDA.
	Decision be deferred till clarification from DDA.

	5
	35292  
	04-10-2010
	BABOSA PLASTICS
	A-22, GROUND FLOOR, WAZIRPUR INDUSTRIAL AREA
	Wazirpur Industrial Area
	Orange Operate
	HOUSE HOLD PLASTICS ITEMS i.e. BUCKET MUG ETC.
	08-12-2010 : Earlier CMC decision: 25.11.2010 It was decided to Ask the unit to submit Bank Guarantee of Rs. 50,000 under Air Act valid for one year. If unit submits the Bank Guarantee, consent to establish be granted. 03.09.2010. As approved by Competent Authority show cause notice for closure u/s 31 (A) of the Air Act Details of case: CTE : not applied. Water Consumption :0.02 KLD Waste Water generation : (a) Domestic effluent: 0.01KLD (b) Trade effluent: Nil Date of Commissioning:Dec.2010 ETP : N/A Test Report (Water) within limit : N/A Test Report (Air) within limit : N/A NMR submitted : N/A ATR : Reply received on 29.09.2010. Letter sent to unit on 13.09.2010.
	If unit submits the Bank Guarantee of Rs. 50,000 under Air Act valid for one year as decided in consent to establish decision dated 25.11.2010, issue consent to operate. 
	If unit submits the Bank Guarantee of Rs. 50,000 under Air Act valid for one year as decided in consent to establish decision dated 25.11.2010, issue consent to operate with the condition to provide hood & suction arrangement followed by a duct raised well above the roof levels (at least 2.0 meter above roof level) to channelize the process emissions and submit an compliance report on an affidavit within 06 months.  

	6
	35293
	04-10-2010
	M. R. TUBES PVT LTD
	B-64, PHASE I, MAYAPURI INDUSTRIAL AREA
	Mayapuri Industrial Area
	Orange Renewal
	Electronic Goods viz Deck Mechanism
	07-12-2010 : Details: CTE :Not applied Water Consumption :0.800 KLD Waste Water generation : (a) Domestic effluent: 0.350 KLD (b) Trade effluent: 0.300 KLD Date of Commissioning:Since 1997 ETP : No Test Report (Water) within limit : No Test Report (Air) within limit : N/A NMR submitted : N/A (No D.G. Set) GW: NIL ATR/Remarks: Earlier CTO issued valid upto 28.03.2003. CTO_R issued valid upto 04.10.2007 vide consent order no 11962. Applied for CTO_R on 28.09.2007 vide ID no 23716.
	Recommended for grant of renewal of consent.
	Issue  renewal of consent.

	7
	35295  
	05-10-2010
	ARORA WATER COOLING PLANT
	F-3, PHASE-III, BADLI INDUSTRIAL ESTATE
	Badli Industrial Estate
	Orange Operate
	MFG. OF PLASTIC DANA AND PLASTIC MOULDED GOODS.
	09-12-2010 : Details of case: CTE : Valid upto 17.06.2011 Water Consumption : 150 ltr/day Waste Water generation : (a) Domestic effluent: 100 ltr/day (b) Trade effluent: NIL Date of Commissioning: Aug,2009 ETP : N/A Test Report (Water) within limit : N/A Test Report (Air) within limit : N/A NMR submitted : N/A ATR : CTE issued on 18.06.2010 and valid upto 17.06.2011.
	Recommended for grant of consent to operate. 
	Issue  consent to operate with the condition to provide hood & suction arrangement followed by a duct raised well above the roof levels (at least 2.0 meter above roof level) to channelize the process emissions and submit an compliance report on an affidavit within 06 months. 

	8
	35296  
	05-10-2010
	K.M. DALL MILL
	A-160 DSIDE NARELA INDUSTRIAL AREA
	Narela Industrial Area
	Orange Operate
	DAL MILL.
	08-12-2010 : Details of case: CTE : Not Applied Water Consumption : 300 ltr/day Waste Water generation : (a) Domestic effluent: 200 ltr/day (b) Trade effluent: NIL Date of Commissioning: May,1997 ETP : N/A Test Report (Water) within limit : N/A Test Report (Air) within limit : Yes NMR submitted : N/A ATR: CTO applied on 28.03.2007 with i.d no. 20952.
	Recommended for grant of consent to operate. 
	Issue  consent to operate. 

	9
	35298
	05-10-2010
	PLAST TECH (INDIA)
	B-40, JHILMIL INDUSTRIAL AREA GT ROAD SHAHDARA
	Jhilmil Industrial Area
	Orange Renewal
	Electroplating
	07-12-2010 : CTE :granted valid upto 25.10.2010. Water Consumption :1200 L/D Waste Water generation : (a) Domestic effluent: 100 L/D (b) Trade effluent:1000 L/D Date of Commissioning:2004. ETP : Yes Test Report (Water) within limit :Yes Test Report (Air) within limit : NA NMR submitted : YES, 27.08.2010. DG set: 100 KVA. G.W.: Nil.
	Recommended for grant of renewal of consent and authorization under HWM Rules.
	Issue  renewal of consent and authorization under HWM Rules.

	10
	35299
	05-10-2010
	MADAAN POLYMERS.
	A-30, NARAINA INDUSTRIAL AREA PHASE - I
	Naraina Industrial Area Phase - I
	Orange Renewal
	MFG OF FRESH PVC COMPOUND
	29-12-2010 : Details: plot area: 335 sqm D.G. set: 125 KVA, NMR Submitted dated 16.08.2010 GW: 200 LPD Domestic eff: 200LPD Trade eff:100 LPD Earlier CTO issued valid upto 04.11.2007 vide consent order no 16251. CTE issued valid upto 08.10.2004 vide consent order no 9832. Applied for CTO_R on 08.10.2007 vide ID no 23791.
	Recommended for grant of renewal of consent to M/s Madaan Plastic Inds. Inform to DJB regarding ground water extraction. Inform to Enquiry Counter and I.T. Cell to correct its record. 
	Issue  renewal of consent to M/s Madaan Plastic Inds with the condition to provide hood & suction arrangement followed by a duct raised well above the roof levels (at least 2.0 meter above roof level) to channelize the process emissions and submit an compliance report on an affidavit within 06 months. Inform to DJB regarding ground water extraction. Inform to Enquiry Counter and I.T. Cell to correct its record. 

	11
	35305  
	06-10-2010
	DELHI FOUNDERS (REGD)
	B-37/B, JHILMIL INDUSTRIAL AREA
	Jhilmil Industrial Area
	Orange Operate
	Casting of Components by Pit Furnace.
	07-12-2010 : CTE :Applied for CTE on 02.02.2010. CTO granted valid upto 15.04.2005. Water Consumption :100 L/D Waste Water generation : (a) Domestic effluent:50 L/D (b) Trade effluent:Nil Date of Commissioning:August 2010. ETP :NA Test Report (Water) within limit :NA Test Report (Air) within limit : NA SMR: Yes, 01.10.2010. NMR submitted : No D.G set:40 HP. Applied for CTE for pit furnace on 02.02.2010. CTO with cupola furace was granted valid upto 15.04.2005.SCN u/s 31 (A) was issued to the unit to remove the cupola furnace. Reply recieved that it is there for sale. There are two other similar cases of foundary units M/s DELHI FOUNDERS INDUSTRIES, PLOT NO.B-37/C & M/S DELHI CASTINGS PVT. LTD.,PLOT NO B-37/A,which were also issued SCN u/s 31 (A) in CTE . G.W.: Nil case for pit furnace.They have also submitted reply that cupola furnace is there for sale. However, CTO for pit furnace has not been applied by these two units.
	Ask the units to submit Bank Guarantee of Rs. 50,000 under Air Act valid for one year and submit an affidavit stating that facilities of cupola furnace has been removed out from the premises within 01 month. 
	Ask the units to submit Bank Guarantee of Rs. 50,000 under Air Act valid for one year and submit an affidavit stating that facilities of cupola furnace has been removed out from the premises within 01 month and thereafter inspection be conducted. 

	12
	35306  
	06-10-2010
	RAJENDRA AUTO SERVICES
	C-40, PH-II, OKHLA INDUSTRIAL AREA
	Okhla Industrial Area
	Orange Renewal
	Repair work of the motor vehicles.
	21-10-2010 : DETAILS OF THE CASE CTE : NOT APPLIED Water Consumption : 545 L/D Waste Water generation : (a) Domestic effluent: 45 L/D (b) Trade effluent: 500 L/D Date of Commissioning: 1987 ETP : YES Test Report (Water) within limit : YES Test Report (Air) within limit : NA NMR submitted : YES, dated 20.04.10 GW : NIL ATR/Remark 1. D G Set : 200KVA, NMR submitted. 2. Adequacy dated May 2010 and Test Report dated 04.10.10 submitted. 3. CTO issued valid upto 11.04.2007 CNO 10748. 4. CTR applied on 30.03.2007 vd ID 20978. 5. authorization under HWM Rule applied on 01.09.08 vide ID no 4691.
	Ask the unit to submit fresh affidavit since the address figured in the list of ‘H’ category industries for which Hon’ble Supreme Court has passed orders for closures.
	Ask the unit to submit fresh affidavit since the address figured in the list of ‘H’ category industries for which Hon’ble Supreme Court has passed orders for closures.

	13
	35310  
	06-10-2010
	TIVOLI GARDEN RESORT (A UNIT OF T.G. LEISURE & RESORTS PVT. LTD)
	KH. NO. 646-653, MAIN CHATTARPUR TEMPLE ROAD, CHATTARPUR
	SOUTH
	Orange Operate
	hotel.
	26-10-2010 : EARLIER CMC DECISION (Complaint File) 11.12.08 Ask the unit to submit compliance of installtion of flow measuring device. 04.03.09 Ask the unit to file CGWA clearance. 15.05.09 Issue final reminder for clearance from DJB for ground water extraction as per new orders. 16.04.2010 Issue SCN u/s 33(A) of the Water Act for closure of the unit. 27.08.10 Inspection be conducted. DETAILS OF THE CASE CTE : submitted on 07.04.2008 vide ID 25425 Water Consumption : 10 KLD Waste Water generation : (a) Domestic effluent: 3 KLD (b) Trade effluent: 4 KL/d Date of Commissioning: 26.11.02 ETP : Yes Test Report (Water) within limit : Yes (except phosphate) Test Report (Air) within limit : NA NMR submitted : Yes, dated 07.09.2010 G W : 10 KL/d ATR/Remark SCN for closure was issued to the unit on 24.06.10. Reply received on 05.07.10 regarding compliance of deficiencies observed during inspection. Earlier unit submitted Bank Guarantee of Rs. One Lakh each under all the three acts on 27.05.2008 which are valid upto 20.05.2011. 1. D G Set : 750 KVA , 380 KVA and 125 KVA. NMR submitted. 2. Adequacy report of STP provided dated October 2010. 3. Test Reports are pass but nothing meanstioned about Phosphate.
	Ask the unit to correct the deficiencies found during the inspection and submit an affidavit in this regard. Also ask the unit to submit effluent analysis report with all the parameters including phosphate from approved laboratory of DPCC. Inform to DJB regarding ground water extraction.  
	Ask the unit to correct the deficiencies found during the inspection and submit an affidavit in this regard. Also ask the unit to submit effluent analysis report with all the parameters including phosphate from approved laboratory of DPCC. Inform to DJB regarding ground water extraction.  

	14
	35313  
	07-10-2010
	HARDEEP ELECTRICAL PRIVATE LIMITED
	S-101, BADLI INDUSTRIAL AREA
	Badli Industrial Estate
	Orange Operate
	MFG. OF WIRE AND CABLES.
	09-12-2010 : Details of case: CTE : Valid upto 15.03.2010 Water Consumption : 200 ltr/day Waste Water generation : (a) Domestic effluent: 50 ltr/day (b) Trade effluent: NIL Date of Commissioning: 01.03.2008 ETP : N/A Test Report (Water) within limit : N/A Test Report (Air) within limit : N/A NMR submitted : Submitted. Ground Water : 200 Ltr/day ATR CTE issued on 16.03.2009 and valid upto 15.03.2010.
	Recommended for grant of consent to operate. 
	Issue  consent to operate with the condition to provide hood & suction arrangement followed by a duct raised well above the roof levels (at least 2.0 meter above roof level) to channelize the process emissions and submit an compliance report on an affidavit within 06 months. 

	15
	35317  
	07-10-2010
	SURYA GARDEN
	PALLA BAKHATAWAR ROAD ALIPUR
	NORTH WEST
	Orange Operate
	FARM HOUSE / A PARTY LAWN.
	09-12-2010 : CTE : Valid upto 09.08.2011 Water Consumption : 5.3 Kilo ltr/day Waste Water generation : (a) Domestic effluent: 0.02 Kilo ltr/day (b) Trade effluent: 5.0 Kilo ltr/day Date of Commissioning: 2009 Ground water extraction-5300 ltr/ocassion ETP : Installed Test Report (Water) within limit :No Test Report (Air) within limit : N/A NMR submitted :submitted Earlier CMC decision: 13.08.2010 Inspection be conducted. ATR: B.G of Rs. 1 lac. Each under Air & Water act submitted on 04.08.2010. MCD licence dated 18.12.07 submitted. Basen on deficiency observed during inspection on 29.09.10 SCN for closure u/s 31 (A) & 33 (A) issued on 15.10.10. Reply received on 01.11.10.
	Ask the unit to submit its reply on an affidavit. If unit submits the affidavit, consent to operate be issued.
	Ask the unit to submit its reply on an affidavit. If unit submits the affidavit, consent to operate be issued.

	16
	35320
	08-10-2010
	JAIMINI BROTHERS STEEL INDUSTRIES
	14, PKT-M, SEC-2, DSIDC BAWANA INDUSTRIAL AREA
	Bawana Industrial Area
	Orange Operate
	Mfg. of office Automation products Lamination Machine Binding Machine Paper Cutter Wire Stitching machines and office furniture without Trade Effluent
	30-12-2010 : Built up Area:200 Sqm. Water Consumption :350 ltr/day Waste Water generation : (a) Domestic effluent: 250 ltr/day (b) Trade effluent: Nil ltr/day Date of Commissioning: july 2006. DG set :Nil
	Recommended for grant of consent to operate. 
	Issue  consent to operate. 

	17
	35326  
	08-10-2010
	V.R. CREATIONS
	B-34, LAWRANCE ROAD INDUSTRIAL AREA
	Lawrence Road Industrial Area
	Orange Operate
	WASHING AND DYEING OF READYMADE GARMENTS.
	30-12-2010 : Details of case: CTE : Applied on 08.09.2010 Water Consumption : 24 Kilo ltr/day Waste Water generation : (a) Domestic effluent: 0.5 Kilo ltr/day (b) Trade effluent: 22 KLD on Application form & NIL on Affidavit. Date of Commissioning: Sep,2008-2009 ETP : Insatalled Test Report (Water) within limit : Yes Test Report (Air) within limit : Yes Ground water: 24 Kilo ltr/day ATR: CTE applied on 08.09.2010 with i.d.no 35056. NMR submitted :N/A
	Ask the unit to submit Bank Guarantee of Rs. 50,000 each under Air Act, Water Act and HWM Rules valid for one year. If unit submits Bank Guarantee, consent to operate and authorization under HWM Rules be issued.. 
	Ask the unit to submit Bank Guarantee of Rs. 50,000 each under Air Act, Water Act and HWM Rules valid for one year. If unit submits Bank Guarantee, consent to operate and authorization under HWM Rules be issued.. 

	18
	35328  
	08-10-2010
	SHAKKARWAL & COMPANY
	B-70/32, DSIDC COMPLEX, LAWRENCE ROAD INDUSTRIAL AREA
	Lawrence Road Industrial Area
	Orange Renewal
	MFG. OF PVC FOOTWEAR.
	09-12-2010 : Details of case: CTE : Not Applied Water Consumption : 300 ltr/day Waste Water generation : (a) Domestic effluent: 150 ltr/day (b) Trade effluent: NIL Date of Commissioning: 2002 ETP : N/A Test Report (Water) within limit : Not Applied Test Report (Air) within limit : N/A NMR submitted : Not Applied ATR: CTO granted.
	Recommended for grant of renewal of consent.
	Issue  renewal of consent with the condition to provide hood & suction arrangement followed by a duct raised well above the roof levels (at least 2.0 meter above roof level) to channelize the process emissions and submit an compliance report on an affidavit within 06 months. 

	19
	35329  
	08-10-2010
	STEP MOVERS
	B-70/14, DSIDC COMPLEX LAWRENCE ROAD INDUSTRIAL AREA
	Lawrence Road Industrial Area
	Orange Renewal
	MFG. OF PVC FOOTWEAR.
	09-12-2010 : CTE : Not Applied Water Consumption : 150 ltr/day Waste Water generation : (a) Domestic effluent: 70 ltr/day (b) Trade effluent: NIL Date of Commissioning: 1999 Ground water extraction-nil ETP : N/A Test Report (Water) within limit : N/A Test Report (Air) within limit : N/A NMR submitted : N/A ATR: CTO granted on 14.09.2004.
	Recommended for grant of renewal of consent.
	Issue  renewal of consent with the condition to provide hood & suction arrangement followed by a duct raised well above the roof levels (at least 2.0 meter above roof level) to channelize the process emissions and submit an compliance report on an affidavit within 06 months. 

	20
	35331  
	08-10-2010
	K.S. PLASTICS
	PLOT NO.131, PKT-K, SEC-3, BAWANA INDUSTRIAL AREA
	Bawana Industrial Area
	Orange Operate
	Mfg. of Injection Moulded Goods.
	08-12-2010 : CTE :YES valid from13.10.2009 to 12.10.2010 Water Consumption :170 LPD Waste Water generation : (a) Domestic effluent: 50 LPD (b) Trade effluent: NIL Date of Commissioning:JUN 2010 ETP : NA Test Report (Water) within limit : NA Test Report (Air) within limit : NA NMR submitted :NA
	Recommended for grant of consent to operate. 
	Issue  consent to operate with the condition to provide hood & suction arrangement followed by a duct raised well above the roof levels (at least 2.0 meter above roof level) to channelize the process emissions and submit an compliance report on an affidavit within 06 months. 

	21
	35332  
	08-10-2010
	SHREE MANAK CABLE INDUSTRIES
	458-466, GALI NO-8, SHAMBHUNATH COMPOUND FRIENDS COLONY INDUSTRIAL AREA
	Friends Colony Industrial Area
	Orange Operate
	Mfg. of PVC Wire and Cables cutting of self adhesive tape.
	07-12-2010 : CTE :granted valid upto 29.08.2011. Water Consumption :170 L/D Waste Water generation : (a) Domestic effluent: 50 L/D (b) Trade effluent: Nil Date of Commissioning:July 2010. ETP : NA Test Report (Water) within limit : NA Test Report (Air) within limit :NA NMR submitted :NA (DG Set:Nil). G.W.: Nil.
	Recommended for grant of consent to operate. 
	Issue  consent to operate with the condition to provide hood & suction arrangement followed by a duct raised well above the roof levels (at least 2.0 meter above roof level) to channelize the process emissions and submit an compliance report on an affidavit within 06 months. 

	22
	35333  
	08-10-2010
	METAL CLOSURES & CONTAINERS
	A-36, G.T.KARNAL ROAD IND. AREA
	G.T. Karnal Road Industrial Area
	Orange Operate
	METAL AND LAMINATE PRINTING WITH TRADE EFFLUENT AND LABEL MANUFACTURING.
	09-12-2010 : CTE : Valid upto 31.05.2011 Water Consumption : 1000 ltr/day Waste Water generation : (a) Domestic effluent: 450 ltr/day (b) Trade effluent: 400 ltr/day Date of Commissioning: Aug,1978 Ground water extraction-Nil ETP : Installed. Test Report (Water) within limit : Yes. Test Report (Air) within limit : Yes NMR submitted : Submitted ATR: CTE issued on 01.06.2010 with c.no. 23761. CTR Issued Valid upto 24.07.2008. HWM authorization applied on 08.10.2010 with id.no. 0445.
	Recommended for grant of consent to operate and authorizaton under HWM Rules. 
	Issue  consent to operate and authorizaton under HWM Rules. 

	23
	35334  
	08-10-2010
	PRIYA PANCHWATI RESTAURANT
	C-11/8, YAMUNA VIHAR
	EAST
	Orange Operate
	Restaurant (North Indian Food)
	08-12-2010 : CTE :Applied for CTE on 09.08.2010. Water Consumption :700 l/d Waste Water generation : (a) Domestic effluent: 200 l/d (b) Trade effluent: 500 L/D Date of Commissioning:2010. ETP : Yes, 25.09.2010. Test Report (Water) within limit : Yes Test Report (Air) within limit : NA NMR submitted : No. G.W.: Nil. D.G Set: 40 KVA. Proof of Conformity : MCD & Delhi Police valid linceses submitted
	Recommended for grant of consent to operate and consent to establish.
	Issue  consent to operate and consent to establish.

	24
	35335  
	08-10-2010
	ELTEK CIRCUITS
	B-2668, DSIDC, NARELA INDUSTRIAL AREA
	Narela Industrial Area
	Orange Operate
	GRINDING OF SPICES.
	09-12-2010 : CTE : Valid upto 12.10.2010 Water Consumption : 100 ltr/day Waste Water generation : (a) Domestic effluent: 80 ltr/day (b) Trade effluent:NIL Date of Commissioning: Jan,2010 Groundwater extraction-Nil ETP : N/A Test Report (Water) within limit :N/A Test Report (Air) within limit : N/A NMR submitted : N/A ATR: CTE Issued on 13.10.2009 with C.No. 21438.
	Recommended for grant of consent to operate. 
	Issue  consent to operate. 

	25
	35336  
	08-10-2010
	MAHARANI GALVANIZERS PVT. LTD.
	B-2581, DSIDC, NARELA INDUSTRIAL AREA
	Narela Industrial Area
	Orange Operate
	PLASTIC GRANULES AND PLASTIC MOULDED PRODUCTS.
	09-12-2010 : CTE :valid uptp 12.10.2010 Water Consumption : 100l/day Waste Water generation : (a) Domestic effluent: 80L/day (b) Trade effluent: Nil Date of Commissioning: sep,2010 Groundwater extraction-Nil ETP : N/A Test Report (Water) within limit : N/A Test Report (Air) within limit : N/A NMR submitted : N/A
	Recommended for grant of consent to operate. 
	Issue  consent to operate with the condition to provide hood & suction arrangement followed by a duct raised well above the roof levels (at least 2.0 meter above roof level) to channelize the process emissions and submit an compliance report on an affidavit within 06 months. 

	26
	35337  
	08-10-2010
	NEW COLOR SCREENS PVT. LIMITED
	A-84/2, NARAINA INDUSTRIAL AREA, PHASE-I
	Naraina Industrial Area Phase - I
	Orange Renewal
	SCREEN PRINTING WITH WASHING
	08-12-2010 : ATR/Remarks CTE : Applied on 08.10.2010 vide ID no. 35338 Water Consumption :0.90 KLD Waste Water generation : (a) Domestic effluent: 400 LPd (b) Trade effluent: 350 LPd Date of Commissioning: 1986 ETP : yes, adequacy report submitted dated 10.12.2009 Test Report (Water) within limit : yes Test Report (Air) within limit : N/A NMR submitted : dated, 28.09.2010 GW: 400 LPD Earlier CTO issued valid upto 31.10.2007 Applied for CTO_r on 22.10.2007 vide ID no. 23988 Applied for renewal of authorization on 08.10.2010 vide ID no. 0446
	Recommended for grant of renewal of consent, consent to establish and authorization under HWM Rules.
	Issue renewal of consent and authorization under HWM Rules. Inform to DJB regarding ground water extraction. 

	27
	35341  
	11-10-2010
	J.P. PLASTIC
	21, PKT-K, SEC-5, BAWANA INDUSTRIAL AREA
	Bawana Industrial Area
	Orange Operate
	Mfg. of plastic molded goods.
	09-12-2010 : CTE : YES Valid from 13-10-2009 to 12-10-2010. Water Consumption : 100 lpd Waste Water generation : (a) Domestic effluent: 50 lpd (b) Trade effluent: Nil Date of Commissioning: 2008 ETP : NA Test Report (Water) within limit : NA Test Report (Air) within limit : NA NMR submitted : NA
	Recommended for grant of consent to operate. 
	Issue  consent to operate with the condition to provide hood & suction arrangement followed by a duct raised well above the roof levels (at least 2.0 meter above roof level) to channelize the process emissions and submit an compliance report on an affidavit within 06 months. 

	28
	35344  
	11-10-2010
	JAY ESS WARE HOUSE
	B-34, LAWRENCE ROAD INDUSTRIAL AREA
	Lawrence Road Industrial Area
	Orange Renewal
	MFG. OF GRINDING AND PACKAGING OF SPICES.
	09-12-2010 : CTE : Not required.  Water Consumption : 1000 Kilo ltr/day Waste Water generation : (a) Domestic effluent: 400 lt/day (b) Trade effluent: Nil. Date of Commissioning: 2001 Ground water extraction:100 ltr/day ETP : NA. ECS : Grinder machine completely fitted with closed vessles. NMR submitted : NA.d ATR: CTO(R) issued and valid upto 28.12.2008 with C.No. 15863. 
Issue SCN u/s 31(A) of the Air Act was issued on 23.08.2010.
Reply received on 14.09.2010 and informing that they have rectified all the deficiencies and installed ducting and channelisation system..
	Recommended for grant of renewal of consent.
	Ask the unit to submit Bank Guarantee of Rs. 50,000 each under Air Act valid for one year. If unit submits the Bank Guarantee, renewal of consent be issued.

	29
	35347  
	11-10-2010
	GOLDEN METAL WORKS
	A-28, G.T. KARNAL ROAD INDUSTRIAL AREA
	G.T. Karnal Road Industrial Area
	Orange Renewal
	MFG. OF PLASTIC DANA.
	30-12-2010 : Details of case: CTE : Not Applied Water Consumption : 150 ltr/day Waste Water generation : (a) Domestic effluent: 40 ltr/day (b) Trade effluent: NIL Date of Commissioning: 1994 ETP : N/A Test Report (Water) within limit : N/A Test Report (Air) within limit : N/A NMR submitted : N/A ATR: CTO (Renewal) applied on 11.10.2010.
	Recommended for grant of renewal of consent.
	Issue  renewal of consent with the condition to provide hood & suction arrangement followed by a duct raised well above the roof levels (at least 2.0 meter above roof level) to channelize the process emissions and submit an compliance report on an affidavit within 06 months. 

	30
	35348  
	11-10-2010
	S.K. INDUSTRIES
	A-28, G.T. KARNAL ROAD INDUSTRIAL AREA
	G.T. Karnal Road Industrial Area
	Orange Renewal
	MFG. OF PLASTIC COSMETIC CONTAINER.
	09-12-2010 : CTE : Not Applied Water Consumption :150 ltr/day Waste Water generation : (a) Domestic effluent: 40 ltr/day (b) Trade effluent: NIL Date of Commissioning: 1994 Ground water extraction -Nil ETP : N/A Test Report (Water) within limit : N/A Test Report (Air) within limit : N/A NMR submitted : N/A Earlier cmc decision: 17.02.2006 Renewal grant. ATR: CTO(Renewal) Applied on 11.10.2010.
	Recommended for grant of renewal of consent.
	Issue  renewal of consent with the condition to provide hood & suction arrangement followed by a duct raised well above the roof levels (at least 2.0 meter above roof level) to channelize the process emissions and submit an compliance report on an affidavit within 06 months. 

	31
	35349  
	11-10-2010
	BABA & CO PVT LTD.
	E-22,S.M.A INDUSTRIAL AREA
	S.M.A Industrial Area
	Orange Operate
	MFG. OF PLASTIC DANA.
	30-12-2010 : Details of case: CTE : Not Applied Water Consumption : 200 ltr/day Waste Water generation : (a) Domestic effluent: 90 ltr/day (b) Trade effluent: NIL Date of Commissioning: Dec,1980 ETP : N/A Test Report (Water) within limit : N/A Test Report (Air) within limit : N/A NMR submitted : N/A ATR: CTO applied on 22.09.2006.
	Recommended for grant of consent to operate. 
	Ask the unit to submit an afidavit that plastic scrap is not used as raw matrial. If the unit submits the aforesaid affidavit, consent to operate be issued with the condition to provide hood & suction arrangement followed by a duct raised well above the roof levels (at least 2.0 meter above roof level) to channelize the process emissions and submit an compliance report on an affidavit within 06 months. 

	32
	35358  
	12-10-2010
	VINEET ENTERPRISES
	PLOT NO-305, POCKET-E, SECTOR-5, DSIDC INDUSTRIAL COMPLEX BAWANA INDUSTRIAL AREA
	Bawana Industrial Area
	Orange Operate
	Mfg. of Rubber Auto Parts and Readymade Garments without trade Effluent.
	08-12-2010 : CTE :YES Valid from 19-11-2009 to 18-11-2010. Water Consumption :200 LPD Waste Water generation : (a) Domestic effluent: 50 LPD (b) Trade effluent: NIL Date of Commissioning:AUG 2007 ETP : NA Test Report (Water) within limit : NA Test Report (Air) within limit : NA NMR submitted : NA
	Implement the earlier CMC(Orange) decision dated 25.11.2010.
	File be put up administratively.

	33
	35364  
	12-10-2010
	FOOD WORLD
	C-104, PHASE-I, OKHLA INDUSTRIAL AREA
	Okhla Industrial Area
	Orange Operate
	food processing.
	21-10-2010 : EARLIER CMC DECISION 140th Issue consent to establish. Subsequently, inspection be conducted. 27.08.10 Issue SCN u/s 21/22 of the Air Act and u/s 25/26 of the Water Act to M/s Food World. Inform to DJB regarding ground water extraction. Issue SCN u/s 33(A) of the Water Act to M/s Govindas Rasoi. Details of the Case CTE : issued valid upto 03.06.2011 with CNO 23991 Water Consumption : 4KLD Waste Water generation : (a) Domestic effluent: 500l/d (b) Trade effluent: 3.5 KLD Date of Commissioning: March 2009 ETP : Yes Test Report (Water) within limit : Yes Test Report (Air) within limit : NA NMR submitted : Yes, dated 20.09.10 G W : nil ATR/Remarks 1. D G Set : 30 KVA 2. Adequacy of ETP dated May 2009 and Test Report dated 06.09.10 submitted. SCN u/s 21/22 and 25/26 and letter to DJB were issued on 27.10.10. Unit submitted its reply on 01.11.10.
	Recommended for grant of consent to operate. 
	Issue  consent to operate. 

	34
	35366  
	12-10-2010
	PURAN SERVICE STATION
	KIRTI NAGAR, KIRTI NAGAR INDUSTRIAL AREA
	Kirti Nagar Industrial Area
	Orange Renewal
	petrol pump cum service station
	07-12-2010 : Details: CTE :Not applied Water Consumption :2000 LPD Waste Water generation : (a) Domestic effluent: 200 LPD (b) Trade effluent: 200 LPD Date of Commissioning:1970 ETP : Yes, adequacy report submitted Test Report (Water) within limit : Yes Test Report (Air) within limit : N/A NMR submitted : Yes, dated 16.08.2010 (D.G. Set of 62.05 KVA) GW: 2000 LPD ATR/Remarks: Earlier CTO_R Issued valid upto 01.04.2007 vide cosent order no 14525. Applied for CTO_R on 08.08.2007 vide ID no.23035. Unit applied for renewal of authorization under HWM Rules on 28.07.2006 vide ID no 2982. CTO Issued valid upto 07.03.2004 vide consent order no 113.
	Ask the unit to submit valid dealership agreement and apply for authorization under HWM Rules.
	Ask the unit to submit valid dealership agreement and apply for authorization under HWM Rules. In the meantime, inspection be conducted.

	35
	35367  
	12-10-2010
	S.J.S. OVERSEAS
	F-130, PHASE-II MAYAPURI INDUSTRIAL AREA
	Mayapuri Industrial Area
	Orange Operate
	MAKING OF NAME PLATE STICKER
	08-12-2010 : Earlier CMC Decision: Decision on 12.05.2010 Issue consent to establish. Ask the unit to apply for authorization under HWM Rules. Details: CTE : issued valid upto 17.06.2011 Water Consumption :100 LPD Waste Water generation : (a) Domestic effluent: 50 LPD (b) Trade effluent: NIL Date of Commissioning:2002 ETP : N/A Test Report (Water) within limit : N/A Test Report (Air) within limit : N/A NMR submitted : N/A (No D.G. Set) GW: NIL ATR/Remarks: Earlier CTO_R applied on 18.01.2007 was cancelled on 14.01.2009 and ask the unit to apply for consent to establish under orange category. Unit applied for fresh authorization under HWM Rules on 18.01.2007 vide ID no 4207. Unit submitted its reply on 11.10.2010 that they engaged in the activity without printing
	Inspection be conducted.
	Inspection be conducted.

	36
	35368  
	12-10-2010
	ELASTOMETRIC MOLDING LINES
	A-32, PH-I, MAYAPURI INDUSTRIAL AREA
	Mayapuri Industrial Area
	Orange Renewal
	AGGLOMERATION OF LDPE HDPE
	07-12-2010 : Details: CTE : Not applied Water Consumption :140 LPD Waste Water generation : (a) Domestic effluent: 100 LPD (b) Trade effluent: NIL Date of Commissioning:Oct 1985 ETP : N/A Test Report (Water) within limit : N/A Test Report (Air) within limit : N/A NMR submitted : N/A (No D.G. Set) GW: NIL ATR/Remarks: Earlier CTO issued twice valid upto 30.11.2004 & 29.11.2007 respectively. Applied for CTO_R on 20.11.2007 vide ID no 2425
	Recommended for grant of renewal of consent.
	Issue  renewal of consent with the condition to provide hood & suction arrangement followed by a duct raised well above the roof levels (at least 2.0 meter above roof level) to channelize the process emissions and submit an compliance report on an affidavit within 06 months. 

	37
	35370  
	12-10-2010
	JUNEJA SALES
	F-65, PH-II, MAYAPURI INDUSTRIAL AREA
	Mayapuri Industrial Area
	Orange Renewal
	PRINTED POLYTHENE BAGS
	08-12-2010 : Details: CTE : Not applied Water Consumption :0.24 KLD Waste Water generation : (a) Domestic effluent: 0.2 KLD (b) Trade effluent: NIL Date of Commissioning:2003 ETP : N/A Test Report (Water) within limit : N/A Test Report (Air) within limit : N/A NMR submitted : N/A (No D.G. Set) GW: 0.24 KLD ATR/Remarks: CTO issued valid upto 02.08.2007 vide consent order no 11419. Applied fot CTO_R on 31.07.2007 vide ID no 22940. Applied for renewal of authorization under HWM Rules on 12.11.2010 vide ID no 0491.
	Consult with Department of Environment regarding any new notification / directions w.r.t. ban of mfg. of polythene bags in Govt. of NCT of Delhi.
	Issue renewal of consent with the condition that the unit will comply with the provisions of The Delhi Degradable Plastic Bag Act, 2000 envisaging the minimum thickness of plastic bag as 40 micron and size as 8" x 12" and to provide hood & suction arrangement followed by a duct raised well above the roof levels (at least 2.0 meter above roof level) to channelize the process emissions and submit an compliance report on an affidavit within 06 months. 

	38
	35375  
	12-10-2010
	M.V.S. ENGINEERING LTD
	B-232, PH-I, OKHLA INDUSTRIAL AREA
	Okhla Industrial Area
	Orange Renewal
	Air Dryer Compressor Air System Air Blower.
	02-11-2010 : Details of Case CTE : Not applied Water Consumption : 250 l/d Waste Water generation : (a) Domestic effluent: 80 l/d (b) Trade effluent: NIL Date of Commissioning: 2003 ETP : NA Test Report (Water) within limit : NA Test Report (Air) within limit : NA NMR submitted : yes, dated 13.05.10 G W : nil ATR/Reamrks CTO issued and valid upto 1.08.05 vide CNO 6747 D G Set : 125 KVA and NMR submitted dated 13.05.2010.
	Inspection be conducted.
	Inspection be conducted.

	39
	35377  
	12-10-2010
	CERAMIC PRINTING
	PLOT NO. 134, PKT-E, SECTOR-3, DSIDC, BAWANA INDUSTRIAL AREA
	Bawana Industrial Area
	Orange Operate
	Mfg. of Boot Polish Hankey Perfumes and Vasline.
	08-12-2010 : CTE : YES valid from 13.10.2009 to 12.10.2010. Water Consumption : 300 lpd (Ground water) Waste Water generation : (a) Domestic effluent: 200 lpd (b) Trade effluent: Nil Date of Commissioning: Jan 2010 ETP : NA Test Report (Water) within limit : NA Test Report (Air) within limit : NA NMR submitted : NA
	Recommended for grant of consent to operate. 
	Issue consent to operate. Inform to DJB regarding ground water extracction. 

	40
	35378  
	12-10-2010
	BHAGWATI STAMPING AND LAMINATION
	174, SECTOR-3, POCKET-E BAWANA INDUSTRIAL AREA
	Bawana Industrial Area
	Orange Operate
	Assembling of Electric Motors and power tools.
	08-12-2010 : CTE :YES valid from 13.10.2009 to 12.10.2010. Water Consumption :300 LPD (ground water) Waste Water generation : (a) Domestic effluent: 200 LPD (b) Trade effluent: NIL Date of Commissioning: JAN 2010 ETP : NA Test Report (Water) within limit : NA Test Report (Air) within limit : NA NMR submitted : NA
	Recommended for grant of consent to operate. 
	Issue consent to operate. Inform to DJB regarding ground water extracction. 

	41
	35383  
	12-10-2010
	SCJ PLASTICS LTD
	70/A-19, RAMA ROAD, NAJAFGARH ROAD INDUSTRIAL AREA
	Najafgarh Road Industrial Area
	Orange Renewal
	Mfg of PVC plastic products viz pe pp compound and masterbatches
	08-12-2010 : Earlier CMC Decision: Decision on 09.04.2009 SIT-II to inspect and report Decision on 15.06.2009 Issue SCN for closure due to obstruction caused during the inspection of SIT and othe other deficiencies observed by SIT. Details: CTE :issued valid upto 21.12.2004 vide consent order no 9105. Water Consumption : 1KLD Waste Water generation : (a) Domestic effluent: 1 KLD (b) Trade effluent: NIL Date of Commissioning:1992 ETP : N/A Test Report (Water) within limit : N/A Test Report (Air) within limit : yes (supermac, extruders) NMR submitted : yes dated 04.08.2010 (D.G. Set of 125X2 KVA & 82.5 KVA) GW: NIL ATR/Remarks: CTO issued valid upto 28.02.2007 vide consent order no 9925. Applied for CTO_R on 27.04.2007 vide ID no 21146. Inspection conducted on 19.05.2009. SCN issued to the unit on 13.07.2009. Unit submitted point wise reply on 30.07.2009.
	Inspecton be conducted.
	Inspecton be conducted.

	42
	35386  
	13-10-2010
	PRINCES GLASS
	64,WHS, FURNITURE BLOCK, KIRTI NAGAR, INDUSTRIAL AREA
	Kirti Nagar Industrial Area
	Orange Operate
	GLASS CUTTING AND GRINDING WORKS
	08-12-2010 : EArlier CMC decision Decision on 12.02.2010 Issue direction for closure u/s 31 (A) of the Air Act Decision on 13.08.2010 Consent refused. Seek compliance report from concerned agencies Compliance for disconnection of Electricity is received from NDPL on 18.10.2010. Decision on 09.11.2010. Ask the unit to submit Bank Guarantee of Rs. 1 Lakh under Air Act valid for one year. If unit submits the Bank Guarantee, closure directions be revoked. ATR/ Remarks CTE : applied on 13.10.2010 Water Consumption : 0.08 KLd Waste Water generation : (a) Domestic effluent: 0.04 KLd (b) Trade effluent: nil Date of Commissioning: 2008 ETP : NA Test Report (Water) within limit : NA Test Report (Air) within limit : yes, Ecs adequacy report submitted dt 29.09.2010 NMR submitted : N/A GW: NIL Applied for CTE on 20.01.2010 and the same was refused on 07.10.2010 Applied for CTE on 13.10.2010 vide application no. 35385 unit submitted bank guarantee on 26.11.2010. Revocation of closure direction u/s 31(A) of Air Act issued to the unit on 06.12.2010.
	Recommended for grant of consent to operate and consent to establish.
	Issue  consent to operate and consent to establish.

	43
	35387  
	13-10-2010
	OFFSET MANTRA
	9/49-A,KIRTI NAGAR INDUSTRIAL AREA
	Kirti Nagar Industrial Area
	Orange Operate
	OFFSET PRINTING (WITHOUT TRADE EFFLUENT DISCHARGE)
	07-12-2010 : Details: CTE : issued valid upto 28.10.2010 vide consent no. 21718 Water Consumption :200 LPD Waste Water generation : (a) Domestic effluent: 150 LPD (b) Trade effluent:NIL Date of Commissioning:Nov 2009 ETP : N/A Test Report (Water) within limit : N/A Test Report (Air) within limit : N/A NMR submitted : N/A (No D.G. Set) GW: NIL ATR/Remarks Unit applied for fresh authorization under HWM Rules on 13.10.2010 vide ID no 0452
	Recommended for grant of consent to operate and authorizaton under HWM Rules. 
	Issue  consent to operate and authorizaton under HWM Rules. 

	44
	35396  
	15-10-2010
	MUKESH AUTO TRADERS
	C-144, SECTOR-3, DSIDC BAWANA INDUSTRIAL AREA
	Bawana Industrial Area
	Orange Operate
	Mfg. of Plastic Auto Parts.
	08-12-2010 : CTE : YES valid from 17-10-2006 to 16-10-2008 Water Consumption : 100 LPD(Ground water) Waste Water generation : (a) Domestic effluent: 50 LPD (b) Trade effluent: NIL Date of Commissioning: JULY 2006 ETP : NA Test Report (Water) within limit : NA Test Report (Air) within limit : NA NMR submitted : NA CTO applied on 15-10-2007 and 15-10-2010.
	Recommended for grant of consent to operate. 
	Issue  consent to operate with the condition to provide hood & suction arrangement followed by a duct raised well above the roof levels (at least 2.0 meter above roof level) to channelize the process emissions and submit an compliance report on an affidavit within 06 months. 

	45
	35398  
	15-10-2010
	MAHAVIR PVC PRODUCT
	PLOT NO.25, GALI NO.6, FRIENDS COLONY INDUSTRIAL AREA, G.T. ROAD SHAHADAR
	Friends Colony Industrial Area
	Orange Operate
	Mfg. of PVC Products.
	07-12-2010 : CTE :granted valid upto 06.07.2010. Water Consumption :400 L/D (Source MCD or ground water) Waste Water generation : (a) Domestic effluent: 200 L/D (b) Trade effluent: Nil Date of Commissioning: Existing. ETP : NA Test Report (Water) within limit : NA Test Report (Air) within limit : NA NMR submitted : NA. G.W.: Nil
	Recommended for grant of consent to operate. 
	Issue  consent to operate with the condition to provide hood & suction arrangement followed by a duct raised well above the roof levels (at least 2.0 meter above roof level) to channelize the process emissions and submit an compliance report on an affidavit within 06 months. 

	46
	35401  
	18-10-2010
	INDRAPRASTHA AUTOMOBILES PVT. LTD.
	16, NAJAFGARH ROAD INDUSTRIAL AREA
	Najafgarh Road Industrial Area
	Orange Operate
	SALES AND SERVICES REPAIR MAINTENANCE AND WASHING OF VEHICLES
	08-12-2010 : Details: CTE : Issued valid upto 17.06.2011. Water Consumption :2035 KLD Waste Water generation : (a) Domestic effluent: 0.30 KLD (b) Trade effluent: 1.80 KLD Date of Commissioning:July, 2008 ETP : Yes, adequacy report submitted Test Report (Water) within limit :Yes Test Report (Air) within limit : N/A NMR submitted : N/A (No D.G. Set) GW: 1200 LPD ATR/Remarks: Applied for fresh authorization under HWM Rules on 17.09.2010 vide ID no 0408. Inspection conducted on 16.09.2010.
	Implement the earlier CMC(Orange) decision dated 25.11.2010.
	File be put up administratively.

	47
	35404  
	18-10-2010
	PRIYA ENTERPRISES
	PLOT NO-135, SECTOR-2, POCKET-N, DSIDC BAWANA INDUSTRIAL AREA
	Bawana Industrial Area
	Orange Operate
	Mfg. of Electrical Goods/ Applications
	08-12-2010 : CTE : YES valid from 4-6-2010 to 3-6-2011. Water Consumption : 100 LPD Waste Water generation : (a) Domestic effluent: 50 LPD (b) Trade effluent: NIL Date of Commissioning: 2010 ETP : NA Test Report (Water) within limit : NA Test Report (Air) within limit :NA NMR submitted : NA Earlier Decisions 12.05.2010 Issue consent to establish with the condition to send the e-waste to authorized recycler. Subsequently, inspection be conducted to know the phosphating activity. 27.08.2010 Issue SCN u/s 21/22 of the Air Act and u/s 25/26 of the Water Act. SCN u/s 21/22 of the Air Act and u/s 25/26 of the Water Act issued on 30-9- 2010
	Recommended for grant of consent to operate without metal surface treatment like electroplating & buffing etc. 
	Issue  consent to operate without metal surface treatment like electroplating & buffing etc. 

	48
	35410  
	18-10-2010
	NAVBHARAT INDUSTRIES
	A-20, WAZIRPUR INDUSTRIAL AREA
	Wazirpur Industrial Area
	Orange Operate
	COLD RE ROLLING OF STAINLESS STEEL SHEET PRESSIG AND PACKING OF S.S. UTENSILS.
	20-12-2010 : Details of case: CTE : Valid upto 26.10.2010 Water Consumption : 20 ltr/day Waste Water generation : (a) Domestic effluent: 10 ltr/day (b) Trade effluent: NIL Date of Commissioning: 2009 ETP : N/A Test Report (Water) within limit : N/A Test Report (Air) within limit :N/A NMR submitted : N/A ATR: CTE issued on 27.10.2009 with ID.No. 21603.
	Recommended for grant of consent to operate. 
	Issue consent to operate without metal surface treatment like electroplating & buffing etc. 

	49
	35413  
	18-10-2010
	SAURABH STEEL WARES
	B-55 GROUP WAZIRPUR INDUSTRIAL AREA
	Wazirpur Industrial Area
	Orange Operate
	MFG. OF CIRCLE CUTTING PRESSING AND BUFFING.
	20-12-2010 : Deatils of Case: CTE : Applied on 13.07.2009 Water Consumption : 100 ltr/day Waste Water generation : (a) Domestic effluent: 50 ltr/day (b) Trade effluent: NIL Date of Commissioning: 2009 ETP : N/A Test Report (Water) within limit : N/A Test Report (Air) within limit : Yes NMR submitted : N/A ATR: CTE applied on 13.07.2009 with iD.no. 30691
	Recommended for grant of consent to operate. 
	Issue  consent to operate. 

	50
	35417  
	19-10-2010
	RAHUL PLASTIC INDUSTRIES
	G-231, SECTOR-3, DSIDC BAWANA INDUSTRIAL AREA
	Bawana Industrial Area
	Orange Operate
	Mfg. of Plastic Electronics Parts by Injection Moulding Machine.
	08-12-2010 : CTE :YES valid from 19-11-2009 to 18-11-2010 Water Consumption :20 LPD(ground water) Waste Water generation : (a) Domestic effluent: 200 LPD (b) Trade effluent: NIL Date of Commissioning: 2007 ETP : NA Test Report (Water) within limit :NA Test Report (Air) within limit : NA NMR submitted : NA
	Recommended for grant of consent to operate. 
	Issue  consent to operate with the condition to provide hood & suction arrangement followed by a duct raised well above the roof levels (at least 2.0 meter above roof level) to channelize the process emissions and submit an compliance report on an affidavit within 06 months. 

	51
	35419  
	19-10-2010
	MUSHTAQ & SONS
	PLOT NO-177, SECTOR-2, POCKET-G, DSIDC BAWANA INDUSTRIAL AREA
	Bawana Industrial Area
	Orange Operate
	MFg. of Auto Parts with Moulding Machine.
	08-12-2010 : CTE : YES issued and valid from 28-01-2010 to 27-01-2011 Water Consumption :100 LPD Waste Water generation : (a) Domestic effluent:50 LPD (b) Trade effluent: NL Date of Commissioning: 2010 ETP : NA Test Report (Water) within limit :NA Test Report (Air) within limit : NA NMR submitted : NA SCN u/s 21/22 of the Air Act and u/s 25/26 of the Water Act for not obtaining consent to operate issued on 30-90-2010 earlier decisions 21.12.2009/22.12.2009 Issue consent to establish. Subsequently, inspection be conducted. 27.08.2010 Issue SCN u/s 21/22 of the Air Act and u/s 25/26 of the Water Act for not obtaining consent to operate.
	Recommended for grant of consent to operate. 
	Issue  consent to operate with the condition to provide hood & suction arrangement followed by a duct raised well above the roof levels (at least 2.0 meter above roof level) to channelize the process emissions and submit an compliance report on an affidavit within 06 months. 

	52
	35421  
	19-10-2010
	MAYA MOULDER
	536, J-1, STREET NO-4-A, FRIENDS COLONY INDUSTRIAL AREA
	Friends Colony Industrial Area
	Orange Operate
	Mfg. of Pressure Cooker with Buffing.
	07-12-2010 : CTE :Applied for CTE on 01.05.2009. Water Consumption :100 L/D Waste Water generation : (a) Domestic effluent: 50 L/D (b) Trade effluent: Nil Date of Commissioning:July 2008. ETP : NA Test Report (Water) within limit :NA APCS/SMR: Yes,22.02.2010. Test Report (Air) within limit : Yes NMR submitted : NA (DG Set:Nil) Earlier CMC Decision : on 07.05.2010: ask the unit to submit bank guarantee of 1 Lakh valid for one year. Reply with BG of 1 lakh received. Last consent was refused for not submitting BG. G.W.: Nil
	Recommended for revocation of closure directions and issuance of consent to operate and consent to establish as unit has submitted Bank Guarantee asked earlier.
	Revoke closure directions and issue consent to operate and consent to establish as unit has submitted Bank Guarantee asked earlier.

	53
	35422  
	19-10-2010
	BETA INDUSTRIAL PRODUCTS
	B-17, G.T. KARNAL ROAD INDUSTRIAL AREA
	G.T. Karnal Road Industrial Area
	Orange Renewal
	MFG. OF AUTO PARTS.
	20-12-2010 : Details of case: CTE : Not Applied Water Consumption : 350lpd Waste Water generation : (a) Domestic effluent: 150lpd (b) Trade effluent: Nil Date of Commissioning: since 1996 ETP : N/A Test Report (Water) within limit : N/A Test Report (Air) within limit : Yes NMR submitted : Yes Ground Water: 350 ltr/day ATR: CTR valid upto 20.07.2007.
	Inspection be conducted to check the existence of boiler. 
	Inspection be conducted to check the existence of boiler. 

	54
	35426  
	19-10-2010
	VIJAY ROSIN TRADERS
	B-44, G.T. ROAD, SHAHDARA, JHILMIL INDUSTRIAL AREA
	Jhilmil Industrial Area
	Orange Operate
	Mfg. of Aluminum Products and Non ferrous metals with casting without buffing and anodizing.
	07-12-2010 : CTE :granted valid upto 06.10.2010. Water Consumption :300L/D Waste Water generation : (a) Domestic effluent: 250 L/D (b) Trade effluent: Nil Date of Commissioning:Jan 2009. ETP :No Test Report (Water) within limit :NA ECS: YES, Sept.2010. Test Report (Air) within limit : Yes NMR submitted : yes (09.09.2010) D.G set:125 KVA. G.W.: Nil
	Inspecton be conducted to check the type of furnace.
	Inspecton be conducted to check the type of furnace.

	55
	35428  
	19-10-2010
	S.K. ENTERPRISES
	K-30, SECTOR-3, DSIDC BAWANA INDUSTRIAL AREA
	Bawana Industrial Area
	Orange Operate
	Re Packing of Gambier Extracts (Katta)
	08-12-2010 : CTE : PENDING Appiled on 18-10-2010 Water Consumption : 120 LPD(ground water) Waste Water generation : (a) Domestic effluent: 70 LPD (b) Trade effluent: NIL Date of Commissioning: NOV 2009 ETP : NA Test Report (Water) within limit :NA Test Report (Air) within limit : NA NMR submitted : NA SCN issued to the unitt on 3-9-10 earlier decisions 11-10-2010 Consent to operate refused w.r.t. M/s Aspee Dyechem Industries. File be put up administratively w.r.t. SCN u/s 21/22 of the Air Act and u/s 25/26 of the Water Act issued to M/s S.K.Enterprises.
	Recommended for grant of consent to operate without trade effluent discharge.
	Issue  consent to operate without trade effluent discharge.

	56
	35429  
	19-10-2010
	RAM ELECTROPLATERS
	B-2495, DSIDC, NARELA INDUSTRIAL AREA
	Narela Industrial Area
	Orange Renewal
	ELECTROPLATING.
	20-12-2010 : Details of case: CTE : Not Applied Water Consumption : 500 ltr/day Waste Water generation : (a) Domestic effluent: 50 ltr/day (b) Trade effluent: 450 ltr/day Date of Commissioning: 2001 ETP : Installed Test Report (Water) within limit : Yes Test Report (Air) within limit : N/A NMR submitted : N/A Ground Water: 200 ltr/day ATR: CTO granted and valid upto 20.06.2007. CTR applied on 01.08.2007.
	Ask the unit to apply for authorization under HWM Rules.
	Issue renewal of consent. Ask the unit to apply for fresh authorization under HWM Rules. Inform to DJB regarding ground water extraction. 

	57
	35437  
	21-10-2010
	PANKAJ PLASTICS
	F-259, FFC, PHASE-III, OKHLA INDUSTRIAL ESTATE
	Okhla Industrial Estate
	Orange Renewal
	PLASTIC MOULDING AND INJECTION MOULDING.
	10-11-2010 : Details of the Case CTE : Applied on 21.10.2010 with ID no. 35438 Water Consumption : 290 l/d Waste Water generation : (a) Domestic effluent: 280 l/d (b) Trade effluent: NIL Date of Commissioning: 1999 ETP : NA Test Report (Water) within limit : NA Test Report (Air) within limit : NA NMR submitted : NA G W : nil DG Set: NIL CTO issued and valid upto 30.03.2003 with CNO 1319.
	Recommended for grant of renewal of consent.
	Issue  renewal of consent with the condition to provide hood & suction arrangement followed by a duct raised well above the roof levels (at least 2.0 meter above roof level) to channelize the process emissions and submit an compliance report on an affidavit within 06 months. 

	58
	35439  
	21-10-2010
	PLASMIC INDIA
	F-265, FFC, PHASE-III, OKHLA INDUSTRIAL AREA
	Okhla Industrial Estate
	Orange Renewal
	PLASTIC MOULDING AND INJECTION MOULDING.
	06-12-2010 : DETAILS OF CASE CTE : applied on 21.10.10 vide ID no 35440 Water Consumption : 290 Lt/d Waste Water generation : (a) Domestic effluent: 280 Lt/d (b) Trade effluent: nil Date of Commissioning: 1999 ETP : N/A Test Report (Water) within limit : N/A Test Report (Air) within limit : N/A NMR submitted : N/A CTO issued and valid upto 31.03.03 vide ID no 1321.
	Recommended for grant of renewal of consent.
	Issue  renewal of consent with the condition to provide hood & suction arrangement followed by a duct raised well above the roof levels (at least 2.0 meter above roof level) to channelize the process emissions and submit an compliance report on an affidavit within 06 months. 

	59
	35444  
	21-10-2010
	GOLDEN FOOD PRODUCTS
	GI-25, LAWRENCE ROAD INDUSTRIAL AREA
	Lawrence Road Industrial Area
	Orange Operate
	FLOUR MILL.
	20-12-2010 : CMC decision: 01.11.2006 CTO (Establish) granted on the basis of submission of reply of letter. Wherein unit ask to give details of proposed pollution control devices. Details of case: CTE : Valid upto 06.11.2006 Water Consumption : 350 ltr/day Waste Water generation : (a) Domestic effluent: 150 ltr/day (b) Trade effluent: NIL Date of Commissioning: 2006 ETP : N/A Test Report (Water) within limit : Not sumitteed Test Report (Air) within limit : Yes NMR submitted : Not submitted ATR: CTO Applied on 21.10.2010.
	Recommended for grant of consent to operate. 
	Issue  consent to operate. 

	60
	35445  
	21-10-2010
	GOYAL FOOD INDUSTRIES
	A-10, LAWRENCE ROAD INDUSTRIAL AREA
	Lawrence Road Industrial Area
	Orange Renewal
	DAL MILL.
	20-12-2010 : Details of case: CTE : Not Applied Water Consumption : 250 ltr/day Waste Water generation : (a) Domestic effluent: 100 ltr/day (b) Trade effluent: NIL Date of Commissioning: 1979 ETP : N/A Test Report (Water) within limit : N/A Test Report (Air) within limit : Yes NMR submitted : N/A ATR: CTO granted on 20.10.2005 and valid upto 27.12.2007. CTR applied on 19.12.2007.
	Recommended for grant of renewal of consent.
	Issue  renewal of consent.

	61
	35446  
	21-10-2010
	F.C. FOOD PRODUCTS
	C-35/19, LAWRENCE ROAD INDUSTRIAL AREA
	Lawrence Road Industrial Area
	Orange Renewal
	DALL MILL.
	20-12-2010 : Details of case: CTE : Not Applied Water Consumption : 350 ltr/day Waste Water generation : (a) Domestic effluent: 150 ltr/day (b) Trade effluent: NIL Date of Commissioning: 1990 ETP : N/A Test Report (Water) within limit : N/A Test Report (Air) within limit : Yes NMR submitted : N/A ATR: CTO granted on 20.10.2005 and valid upto 27.12.2007. CTR applied on 28.11.2007.
	Recommended for grant of renewal of consent.
	Issue  renewal of consent.

	62
	35449  
	21-10-2010
	ARUN ELECTOPLATNG
	B-2305, DSIDC NARELA INDUSTRIAL AREA
	Narela Industrial Area
	Orange Renewal
	ELECTROPLATING AND POWDER COATING.
	20-12-2010 : Deatils of case: CTE : Not Applied Water Consumption :3Kld Waste Water generation : (a) Domestic effluent: 170lpd (b) Trade effluent: 2.75KLD Date of Commissioning:2001 ETP : Yes Test Report (Water) within limit : Yes Test Report (Air) within limit : Not submitted NMR submitted : N/A Gropund water: 3 Kilo ltr/day ATR: CTE valid upto 31.10.2003 CTO valid upto 20.06.2007 CTR applied on 01.08.2007
	Ask the unit to apply for authorization under HWM Rules.
	Issue renewal of consent. Ask the unit to apply for fresh authorization under HWM Rules. Inform to DJB regarding ground water extraction. 

	63
	35451  
	21-10-2010
	FARM TIME
	PALLABHATAWARPUR ROAD, G.T.K. ROAD
	NORTH WEST
	Orange Operate
	FARM HOUSE / A PARTY LAWN.
	20-12-2010 : CMC decision: 26.05.2010 ask the unit to submit bank guarntee of 1 lakh each under Air act & Water act Valid for 1 year. If unit submits the abnk guarntee, closure direction be revoked and issue CTE. Also ask the unit to submit adequacy report & effluent analysis report of ETP from approved lab of DPCC.Subsequently, inspection be conducted. Details of case: CTE : Valid upto 23.06.2011 Water Consumption : 3.5 Kilo ltr/day Waste Water generation : (a) Domestic effluent: 0.2 Kilo ltr/day (b) Trade effluent: 3.0 Kilo ltr/day Date of Commissioning: 2008 ETP : Installed Test Report (Water) within limit : Yes Test Report (Air) within limit : N/A NMR submitted : Yes Ground water: 3.5 kiloltr/day ATR: Copy of MCD permission submitted. B.G of 1 lakh each under air and watyer act submitted. Letter issued on 08.06.2010. Reply received on 14.06.2010. Revocation of closure direction issued on 18.06.2010.
	Recommended for grant of consent to operate. 
	Issue consent to operate. Inform to DJB regarding ground water extracction. 

	64
	35452  
	21-10-2010
	KOPAG ELECTRONICS
	C-193, MAYAPURI INDUSTRIAL AREA PHASE-II
	Mayapuri Industrial Area
	Orange Renewal
	MFG OF SOLDER WIRE
	07-12-2010 : Details: CTE : Not applied Water Consumption :300 LPD Waste Water generation : (a) Domestic effluent: 70 LPD (b) Trade effluent: NIL Date of Commissioning:Since 1996 ETP : N/A Test Report (Water) within limit : N/A Test Report (Air) within limit : yes (melting furnace) NMR submitted : N/A (No D.G. Set) GW: NIL ATR/Remarks: Earlier CTO issued wahich was refused. CTO issued valid upto 22.09.2007. Unit applied for renewal of authorization under HWM Rules on 24.08.2006 vide ID no 3442.
	Issue SCN for refusal of consent in view of the test report  dated 23.08.2010 submitted.
	Issue SCN for refusal of consent and SCN u/s 31(A) of the Air Act in view of the test report  dated 23.08.2010 submitted.

	65
	35457  
	25-10-2010
	BITTOO BIKEWALA PVT. LTD.
	D-19/1, PHASE-II, OKHLA INDUSTRIAL AREA
	Okhla Industrial Area
	Orange Operate
	Service station of bikes.
	15-11-2010 : EARLIER CMC DECISIONS 140th Issue consent to establish. Subsequently, inspection be conducted. Ask the unit to apply for authorization under HWM Rules. 27.08.2010 Issue closure directions u/s 33 (A) of the Water Act & u/s 5 of the Environment Act. Details of the Case CTE : issued valid upto 03.06.2011 with CNO 23985 Water Consumption :2 KLD Waste Water generation : (a) Domestic effluent: 500 l/d (b) Trade effluent: 2 KLD Date of Commissioning:2009 ETP : 2000 Lt/d Test Report (Water) within limit : Yes Test Report (Air) within limit : NA NMR submitted : NA G W : nil ATR/REMARK 1. Plot Area : 300 Sq.ft on Application Form & 270 Sq.mt on Affidavit 2. Adequacy Report dated 06.09.10 and Test Report dated 06.09.10 submitted 3. D G Set : nil 4. Authorization under HWM Rules applied on 25.10.2010 with ID no 0459 Closure directions u/s 33 (A) of the Water Act & u/s 5 of the Environment Act issued on 20.10.10. Unit submitted its reply on 25.10.10 & 26.10.10 stating that they have already applied for CTO & HWM Authorization & also that they have already installed ETP Plant.
	Ask the unit to submit Bank Guarantee of Rs. 1 Lakh each under Water Act and HWM Rules valid for one year. If unit submits the Bank Guarantee, closure directions be revoked.
	Ask the unit to submit Bank Guarantee of Rs. 1 Lakh each under Water Act and HWM Rules valid for one year. If unit submits the Bank Guarantee, closure directions be revoked.

	66
	35459  
	25-10-2010
	SUPER POLYMER
	PLOT NO.-168, POCKET-M, SECTOR-3, DSIDC BAWANA INDUSTRIAL AREA
	Bawana Industrial Area
	Orange Operate
	Mfg. of PVC Compound and PVC Wire and Cable.
	08-12-2010 : CTE : YES valid from 7-10-2010 to 6-10-2011 Water Consumption : 200 LPD(As per form, in affidavit its 50 lpd & the break up comes out to be 200 lpd) Waste Water generation : (a) Domestic effluent: 100 LPD (b) Trade effluent: NIL Date of Commissioning: AUG 2010 ETP : NA Test Report (Water) within limit : NA Test Report (Air) within limit : NA NMR submitted : NA
	Recommended for grant of consent to operate. 
	Issue  consent to operate with the condition to provide hood & suction arrangement followed by a duct raised well above the roof levels (at least 2.0 meter above roof level) to channelize the process emissions and submit an compliance report on an affidavit within 06 months. 

	67
	35460  
	25-10-2010
	VEE KAY PLASTIC
	PLOT NO.-78, POCKET-H, SECTOR-1, DSIDC BAWANA INDUSTRIAL AREA
	Bawana Industrial Area
	Orange Operate
	Mfg. of PVC Compound and PVC Wire and Cable.
	08-12-2010 : CTE : YES issued and valid from 7-10-2010 to 6-10-2011 Water Consumption : 200 LPD(As per form, in affidavit its 50 lpd & the break up comes out to be 200 lpd) Waste Water generation : (a) Domestic effluent: 100 LPD (b) Trade effluent: NIL Date of Commissioning: AUG 2010 ETP : NA Test Report (Water) within limit : NA Test Report (Air) within limit :NA NMR submitted : NA
	Recommended for grant of consent to operate. 
	Issue  consent to operate with the condition to provide hood & suction arrangement followed by a duct raised well above the roof levels (at least 2.0 meter above roof level) to channelize the process emissions and submit an compliance report on an affidavit within 06 months. 

	68
	35461  
	25-10-2010
	SUPER PLASTIC
	PLOT NO.-73, POCKET-H, SECTOR-1, DSIDC BAWANA INDUSTRIAL AREA
	Bawana Industrial Area
	Orange Operate
	Mfg. of PVC Compound and PVC Wire and Cable.
	08-12-2010 : CTE : yes valid from 7-10-2010 to 6-10-2011 Water Consumption : 600LPD(As per Form)(in affidavitits 50 lpd source- from outside source for 200 lpd) Waste Water generation : (a) Domestic effluent: 100 lpd (b) Trade effluent: nil Date of Commissioning: Aug 2010 ETP : NA Test Report (Water) within limit : NA Test Report (Air) within limit : NA NMR submitted : NA
	Recommended for grant of consent to operate. 
	Issue  consent to operate with the condition to provide hood & suction arrangement followed by a duct raised well above the roof levels (at least 2.0 meter above roof level) to channelize the process emissions and submit an compliance report on an affidavit within 06 months. 

	69
	35462  
	25-10-2010
	SAHNI INDUSTRIES
	18, DLF, INDUSTRIAL AREA, NAZAFGARH ROAD, MOTI NAGAR
	Moti Nagar DLF Industrial Area
	Orange Renewal
	MFG OF RUBBER MOULED COPONENTS AUTO PARTS
	07-12-2010 : Details: CTE : Not applied Water Consumption :600 LPD Waste Water generation : (a) Domestic effluent: 250 LPD (b) Trade effluent: NIL Date of Commissioning:1968 ETP : N/A Test Report (Water) within limit : N/A Test Report (Air) within limit : Yes (thermic fluid heater) NMR submitted :Yes, dated 10.09.2010 (D.G. Set of 125 KVA) GW: 600 LPD ATR/Remarks: CTO issued twice valid upto 27.07.2003 & 18.08.2007 respectively. Applied for CTO_R on 29.11.2007 vide ID no 24364.
	Recommended for grant of renewal of consent.
	Issue  renewal of consent.

	70
	35463  
	25-10-2010
	PANCHSHILA SERVICE STATION
	AUGUST KRANTI MARG, ANDREWS GANJ
	SOUTH
	Orange Renewal
	PETROL PUMP CUM SERVICE STATION.
	16-11-2010 : Details of the Case CTE : Not required Water Consumption : 2 KLD Waste Water generation : (a) Domestic effluent: 20o l/d (b) Trade effluent: 1750 Lt/d Date of Commissioning: Not Mentioned ETP : Yes Test Report (Water) within limit : Yes Test Report (Air) within limit : NA NMR submitted : Yes, dated 27.07.2010. G W : 2000Lt/d ATR/ Remarks 1. D G Set : 25 KVA. 2. CTO issued valid upto 23.01.2004 and 23.01.2007 vide CNO 1696 and 10732 respectively. 3. Authorization under HWM Rules applied on 25.10.2010 with ID no 0461.
	Recommended for grant of renewal of consent and authorizaton under HWM Rules. 
	Issue renewal of consent and authorizaton under HWM Rules. Inform to DJB regarding ground water extraction. 

	71
	35464  
	25-10-2010
	RANA METAL WORKS
	PLOT NO. 251,FIE. PATPARGANJ INDUSTRIAL AREA
	Patparganj Industrial Area
	Orange Renewal
	Manufacturing of Sheet metal Boxes with Phosphating and Powder Coating.
	03-12-2010 : CTE : CTE garanted valid upto 09.03.2004. Water Consumption :1500 L/Day Waste Water generation : (a) Domestic effluent: 300 L/Day (b) Trade effluent: 700 L/Day Date of Commissioning:2003 (existing) ETP : Yes (18 june 2009. Test Report (Water) within limit : Yes Test Report (Air) within limit : NA NMR submitted : NA, DG Set.:Nil CTO grantedon 24.02.2004 valid upto 04.02.2007.
	Ask the unit to apply for authorization under HWM Rules.
	File be put up administratively.

	72
	35468  
	25-10-2010
	SPARX INDUSTRIES
	C-193, MAYAPURI INDUSTRIAL AREA PHASE-II
	Mayapuri Industrial Area
	Orange Renewal
	MFG OF SOLDER WIRES
	07-12-2010 : Details: CTE :Not applied Water Consumption :120 LPD Waste Water generation : (a) Domestic effluent: 80 LPD (b) Trade effluent: NIL Date of Commissioning:Since 1976 ETP : N/A Test Report (Water) within limit : N/A Test Report (Air) within limit : Yes (lead melting furnace) NMR submitted : N/A (No D.G. Set) GW: NIL ATR/Remarks: CTO issued twice valid upto 27.07.2003 & 18.08.2007 respectively. Applied for CTO_R on 15.06.2007 vide ID no 35468. Unit applied for renewal of authorization under HWM Rules on 24.08.2006 vide ID no 3434.
	Issue SCN for refusal of consent in view of the latest stack monitoring report submitted.
	Issue SCN for refusal of consent and SCN u/s 31(A) of the Air Act in view of the latest stack monitoring report submitted.

	73
	35469  
	25-10-2010
	BHARAT FOILS LTD
	A-8, GTK ROAD, RAJASTHAN UDYOG NAGAR INDUSTRIAL AREA
	Rajasthan Udyog Nagar Industrial Area
	Orange Renewal
	MFG. OF FLOUR MACHINES AND SPAREPARTS.
	20-12-2010 : CMC decision: 22.06.2004 CTO grant. Details of case: CTE : Not Applied Water Consumption : 1500 ltr/day Waste Water generation : (a) Domestic effluent: 1000 ltr/day (b) Trade effluent: NIL Date of Commissioning: 2003 ETP : N/A Test Report (Water) within limit : N/A Test Report (Air) within limit : Yes. NMR submitted : Yes. ATR: CTO (Renwwal) Applied on 25.10.2010.
	Recommended for grant of renewal of consent.
	Issue  renewal of consent.

	74
	35470  
	25-10-2010
	VICTOR ELECTRICAL & MACHINERY MANUFACTURER
	Z-58, PHASE II, OKHLA INDUSTRIAL AREA
	Okhla Industrial Area
	Orange Renewal
	MANUFACTURING OF CONSTRUCTION MACHINERY.
	02-11-2010 : Details of the Case CTE : Not Required Water Consumption : 300 l/d Waste Water generation : (a) Domestic effluent: 250 l/d (b) Trade effluent: NA Date of Commissioning: Jan 2000 ETP : NA Test Report (Water) within limit : NA Test Report (Air) within limit : NA NMR submitted : NA G W : nil ATR/Remarks D G Set: nil CTo and CTR issued and valid upto 24.05.03 and 16.12.2006 vide CNO 499 and 9798. CTR applied on 02.11.2007 with vd ID 24121.
	Recommended for grant of renewal of consent.
	Seek clarification from the unit whether the manufacturing process / machineries are changed in view of the addition in the final products.

	75
	35471  
	26-10-2010
	STANDARD ENAMEL WORKS (P) LTD.
	D-40,G.T.K.ROAD S.M.A INDUSTRIAL AREA
	S.M.A Industrial Area
	Orange Renewal
	MFG. OF VITREOUS ENAMEL WARES.
	20-12-2010 : Deatils of case: CTE : Valid upto 05.11.2007 Water Consumption : 0.600 Kilo ltr/day Waste Water generation : (a) Domestic effluent: 0.150 Kilo ltr/day (b) Trade effluent: 0.400Kilo ltr/day Date of Commissioning: 2007 ETP : 400 ltr/day Test Report (Water) within limit : Yes Test Report (Air) within limit : N/A NMR submitted : Not submitted Ground Water: 400 ltr/day ATR: CTE issued on 06.11.2006. Unit has also applied for authorization under HWM rule on 26.10.2010.
	Inspection be conducted to check the activity of mfg. of nitro cellulose paint.
	Inspection be conducted to check the activity of mfg. of nitro cellulose paint.

	76
	35472  
	26-10-2010
	AKRITI PRINTERS
	B-96/1, NARAINA INDUSTRIAL AREA PHASE - I
	Naraina Industrial Area Phase - I
	Orange Renewal
	OFFSET PRINTING
	07-12-2010 : Details: CTE :Not applied Water Consumption :0.3 KLD Waste Water generation : (a) Domestic effluent: 0.2 KLD (b) Trade effluent: NIL Date of Commissioning:2004 ETP : Yes, Adequact report submitted Test Report (Water) within limit : yes Test Report (Air) within limit : N/A NMR submitted :Yes, dated 17.09.2010 (D.G. Set of 125 KVA) GW: NIL ATR/Remarks: CTO issued valid upto 08.06.2007 vide consent order no 11502. Applied for CTO_R on 11.07.2007 vide ID no 22313
	Ask the unit to submit fresh effluent analysis report with complete parameters for printing activity from approved laboratory of DPCC.
	Ask the unit to submit fresh effluent analysis report with complete parameters for printing activity from approved laboratory of DPCC.

	77
	35477  
	26-10-2010
	PANNA ANODIZING WORKS
	B-2496, NARELA INDUSTRIAL AREA
	Narela Industrial Area
	Orange Renewal
	ANODIZING.
	16-12-2010 : Details of case: CTE : Not Applied Water Consumption : 500 ltr/day Waste Water generation : (a) Domestic effluent: 50 ltr/day (b) Trade effluent: 450 ltr/day Date of Commissioning: 2001 ETP : Installed Test Report (Water) within limit : Yes Test Report (Air) within limit : N/A NMR submitted : N/A Ground Water: 500 ltr/day ATR: CTO granted on 29.06.2004 and valid upto 14.06.2007. CTR applied on 21.08.2007.
	Ask the unit to apply for authorization under HWM Rules.
	Issue renewal of consent. Ask the unit to apply for fresh authorization under HWM Rules. Inform to DJB regarding ground water extraction. 

	78
	35481  
	26-10-2010
	TOMAR PLASTIC
	PLOT NO. 1/536, C-10, GALI NO. 4, FRIENDS COLONY INDUSTRIAL AREA,G.T. ROAD, SHAHDRA
	Friends Colony Industrial Area
	Orange Renewal
	Mfg. of Polythene Bags (above 40 microns) with printing.
	07-12-2010 : CTE :granted valid upto 22.07.2004. Water Consumption :120 L/D Waste Water generation : (a) Domestic effluent: 50 L/D (b) Trade effluent:Nil Date of Commissioning: July 2004. ETP : NA Test Report (Water) within limit :NA Test Report (Air) within limit : NA NMR submitted : NA
	Consult with Department of Environment regarding any new notification / directions w.r.t. ban of mfg. of polythene bags in Govt. of NCT of Delhi.
	Issue renewal of consent with the condition that the unit will comply with the provisions of The Delhi Degradable Plastic Bag Act, 2000 envisaging the minimum thickness of plastic bag as 40 micron and size as 8" x 12" and to provide hood & suction arrangement followed by a duct raised well above the roof levels (at least 2.0 meter above roof level) to channelize the process emissions and submit an compliance report on an affidavit within 06 months. 

	79
	35482  
	26-10-2010
	MANSI PLASTICS
	340A/11/1, GALI NO.1A, FRIENDS COLONY INDUSTRIAL AREA GT ROAD SHAHDARA
	Friends Colony Industrial Area
	Orange Renewal
	Manufacturing of PVC Compound and Wires and Cables.
	07-12-2010 : CTE :No Water Consumption :200 L/D Waste Water generation : (a) Domestic effluent: 50 L/D (b) Trade effluent: NIL Date of Commissioning:April 2000. ETP :NA Test Report (Water) within limit : NA Test Report (Air) within limit :NA NMR submitted :NA. (DG Set:Nil) CTO granted valid upto 12.09.2007.
	Recommended for grant of renewal of consent.
	Issue  renewal of consent with the condition to provide hood & suction arrangement followed by a duct raised well above the roof levels (at least 2.0 meter above roof level) to channelize the process emissions and submit an compliance report on an affidavit within 06 months. 

	80
	35484  
	26-10-2010
	M.S. GARMENTS PVT. LTD
	A-39, JHILMIL INDUSTRIAL AREA SHAHDARA
	Jhilmil Industrial Area
	Orange Renewal
	Manufacturing of Sequines (Decorative Goods)
	07-12-2010 : CTE :No Water Consumption :100 L/D Waste Water generation : (a) Domestic effluent: 50 L/D (b) Trade effluent: Nil Date of Commissioning:1999 (existing) ETP : NA Test Report (Water) within limit : NA Test Report (Air) within limit : NA NMR submitted : NA(DG set:Nil) CTR granted valid upto 19.02.2007. G.W.: Nil
	Inspection be conducted.
	Inspection be conducted.

	81
	35485  
	26-10-2010
	SMT.RAZY JAIN
	1/421,GALI NO5 ,FRIENDS COLONY INDUSTRIAL AREA,SAHADARA
	Friends Colony Industrial Area
	Orange Operate
	Mfg. of PVC Compound.
	07-12-2010 : CTE :granted on 26.10.2009, valid upto 25.10.2010. Water Consumption :100 L/D Waste Water generation : (a) Domestic effluent: 20 L/D (b) Trade effluent: Nil Date of Commissioning: 2010. ETP : NA Test Report (Water) within limit :NA Test Report (Air) within limit : NA NMR submitted : NA ( DG set:Nil). G.W.: Nil.
	Ask the unit to submit Bank Guarantee of Rs. 50,000 under Air Act valid for one year. If unit submits the Bank Guarantee, consent to operate be issued.
	Ask the unit to submit Bank Guarantee of Rs. 50,000 under Air Act valid for one year. If unit submits the Bank Guarantee, consent to operate be issued with the condition to provide hood & suction arrangement followed by a duct raised well above the roof levels (at least 2.0 meter above roof level) to channelize the process emissions and submit an compliance report on an affidavit within 06 months. 

	82
	35486  
	26-10-2010
	GOLDEN MANUFACTURING CO.
	A-7/2, SHAHDARA, JHILMIL INDUSTRIAL AREA
	Jhilmil Industrial Area
	Orange Renewal
	Manufacturing of Wires and Cables.
	07-12-2010 : CTE :No Water Consumption :200 L/D Waste Water generation : (a) Domestic effluent: 50 L/D (b) Trade effluent: Nil Date of Commissioning:1997. ETP : NA Test Report (Water) within limit :NA Test Report (Air) within limit : NA NMR submitted : Yes, 13.08.2010. DG Set:63 KVA. G.W.: Nil.
	Recommended for grant of renewal of consent.
	Issue  renewal of consent with the condition to provide hood & suction arrangement followed by a duct raised well above the roof levels (at least 2.0 meter above roof level) to channelize the process emissions and submit an compliance report on an affidavit within 06 months. 

	83
	35487  
	26-10-2010
	ASHOK JAIN & CO.
	1/359, GALI NO-3, FRIENDS COLONY INDUSTRIAL AREA, SHAHDARA
	Friends Colony Industrial Area
	Orange Renewal
	Copper Wire Drawing.
	07-12-2010 : CTE : granted valid upto 07.10.2009. Water Consumption :50 L/D Waste Water generation : (a) Domestic effluent: 20 L/D (b) Trade effluent: Nil Date of Commissioning:2002, Existing ETP : NA Test Report (Water) within limit : NA Test Report (Air) within limit : NA NMR submitted : NA G.W.: Nil.
	Ask the unit to apply for authorization under HWM Rules.
	Issue SCN u/s 5 of EPA for closure of the unit.

	84
	35491  
	26-10-2010
	AB HEALTH PRODUCTS PVT. LTD.
	B-119, OKHLA INDUSTRIAL AREA, PHASE-I
	Okhla Industrial Area
	Orange Renewal
	manufacturing of molding of soap chips into bars and cakes for bathing and medicial use.
	18-11-2010 : Details of the Case CTE : Not Applied Water Consumption : 200 Lt/d on Application Form and 1700 Lt/month on Affidavit Waste Water generation : (a) Domestic effluent: 100 l/d (b) Trade effluent: 100 Lts/ 15 days Date of Commissioning: 1997 ETP : Yes Test Report (Water) within limit : Yes Test Report (Air) within limit : NA NMR submitted : yes, dated 27.08.2010. G W : nil ATR/Remarks 1. Adeqacy Report dated September 2010. Test report dated 06.09.10 submitted. 2. D G Set : 62.5 KVA 3. CTR issued valid upto 26.04.2007 with CNO 10525. 4. CTR applied on 20.07.2007 with ID no 22616. 5. Authorization under HWM Rules applied on 25.10.2010 with ID no 0462.
	Recommended for grant of renewal of consent and authorization under HWM Rules.
	Issue renewal of consent and authorization under HWM Rules thereafter inspection be conducted.

	85
	35492  
	26-10-2010
	GIRISH PLASTICS
	F-1619, DSIDC, NARELA INDUSTRIAL AREA
	Narela Industrial Area
	Orange Renewal
	MFG.OF POLYTHENE BAGS.
	20-12-2010 : Details of case: CTE : Not Applied Water Consumption : 75 ltr/day Waste Water generation : (a) Domestic effluent: 60 ltr/day (b) Trade effluent: NIL Date of Commissioning: 2002 ETP : N/A Test Report (Water) within limit : N/A Test Report (Air) within limit : N/A NMR submitted :N/A ATR: CTO Granted on 19.05.2004 and Valid upto 25.07.2005. CTR Applied on 22.07.2005. ATR:
	Consult with Department of Environment regarding any new notification / directions w.r.t. ban of mfg. of polythene bags in Govt. of NCT of Delhi.
	Issue renewal of consent with the condition that the unit will comply with the provisions of The Delhi Degradable Plastic Bag Act, 2000 envisaging the minimum thickness of plastic bag as 40 micron and size as 8" x 12" and to provide hood & suction arrangement followed by a duct raised well above the roof levels (at least 2.0 meter above roof level) to channelize the process emissions and submit an compliance report on an affidavit within 06 months. 

	86
	35493  
	26-10-2010
	J.K. FOOD INDUSTRIES
	PLOT NO. H-1409, DSIDC, NARELA INDUSTRIAL AREA
	Narela Industrial Area
	Orange Operate
	DAL MILL.
	20-12-2010 : Details of case: CTE : Not Applied Water Consumption :300LPD Waste Water generation : (a) Domestic effluent: 240LPD (b) Trade effluent: Nil Date of Commissioning: 2003 ETP : N/A Test Report (Water) within limit : N/A Test Report (Air) within limit : Yes NMR submitted : N/A ATR: CTO applied on 02.05.2005.
	Recommended for grant of consent to operate. 
	Issue  consent to operate. 

	87
	35497  
	27-10-2010
	JAI JAWALA PLASTIC
	PLOT NO.274, PKT-O, SEC-I, DSIDC BAWANA INDUSTRIAL AREA
	Bawana Industrial Area
	Orange Operate
	Mfg. of PVC Conduit/Pressure Pipe, Plastic Products, wire and Cable plastic Dana W/o Plastic Bags and Containers.
	08-12-2010 : CTE : YES VALID FROM 29-10-2009 TO 28-10-2010. Water Consumption : 350 LPD Waste Water generation : (a) Domestic effluent: 150 LPD (b) Trade effluent: NIL Date of Commissioning: 2010 ETP : Test Report (Water) within limit : NA Test Report (Air) within limit : NA NMR submitted : NA
	Recommended for grant of consent to operate. 
	Issue  consent to operate with the condition to provide hood & suction arrangement followed by a duct raised well above the roof levels (at least 2.0 meter above roof level) to channelize the process emissions and submit an compliance report on an affidavit within 06 months. 

	88
	35501  
	27-10-2010
	ESSCO SANITATIONS
	A-6, WAZIRPUR INDUSTRIAL AREA
	Wazirpur Industrial Area
	Orange Operate
	MANUFACTURING OF BATHROOM FITTINGS.
	20-12-2010 : Details of case: CTE : valid upto 14.12.2010 Water Consumption : 20833 ltr/day Waste Water generation : (a) Domestic effluent: 3200 ltr/day (b) Trade effluent: 16833 ltr/day Date of Commissioning: 2009 ETP : Proposed Test Report (Water) within limit : Test Report (Air) within limit : NMR submitted : To be submitted Ground Water: 1.34 ltr/day ATR: CTE issued on 15.12.2009.
	Recommended for grant of renewal of consent and authorization under HWM Rules.
	Inspection be conducted.

	89
	35506  
	27-10-2010
	ALPNA VARNISHING CO. PVT. LTD.
	B-149,GF. PHASE-I, OKHLA INDUSTRIAL AREA
	Okhla Industrial Area
	Orange Operate
	JOB WORK OF PRINT COATING.
	11-11-2010 : EARLIER CMC DECISION 06.09.10 Issue conent to establish DETAILS OF THE CASE CTE : issued Water Consumption : 110 l/d Waste Water generation : (a) Domestic effluent: 85 l/d (b) Trade effluent: nil Date of Commissioning: June 2010 ETP : NA Test Report (Water) within limit : NA Test Report (Air) within limit : NA NMR submitted : NA G W : nil D G Set : nil ATR/REMARKS CTE issued to the unit on 20.10.10
	Recommended for grant of consent to operate. 
	Issue consent to operate and authorization under HWM Rules.

	90
	35509  
	28-10-2010
	KESAR INDUSTRIES
	PLOT NO.-30, GALI NO,-3, FRIENDS COLONY INDUSTRIAL AREA
	Friends Colony Industrial Area
	Orange Operate
	PVC Wrie and Cables.
	07-12-2010 : CTE :Applied on 28.10.2010. Water Consumption :0.20 KL/D. Waste Water generation : (a) Domestic effluent: 0.15 KL/D. (b) Trade effluent: Nil Date of Commissioning:Jan 2010. ETP : NA Test Report (Water) within limit : NA Test Report (Air) within limit : NA NMR submitted : NA Earlier CMC decision: on 27.08.2010: Issue SCN u/s21/22 of the Air Act & 25/26 of the Water Act. SCN issued on 05.10.2010. In response , CTE & CTO applied. G.W.: Nil.
	Recommended for grant of consent to operate. 
	Issue  consent to operate with the condition to provide hood & suction arrangement followed by a duct raised well above the roof levels (at least 2.0 meter above roof level) to channelize the process emissions and submit an compliance report on an affidavit within 06 months. 

	91
	35511  
	28-10-2010
	SHIVAM ENTERPRISES
	1/424/5, GALI NO.-1B, FRIENDS COLONY INDUSTRIAL AREA
	Friends Colony Industrial Area
	Orange Operate
	Copper wire drawing and mfg. of PVC insulation/wire and cables.
	30-12-2010 : BUA : 167sq. mts. GW: Nil Water Consumption :170 Litres/day Waste Water generation : (a) Domestic effluent: 100L/Day (b) Trade effluent: Nil Date of Commissioning:June 2010. D.G.Set: Nil KVA. CTE:yes, applied on 28.10.2010.
	Recommended for grant of consent to operate and authorizaton under HWM Rules. 
	Issue  consent to operate with the condition to provide hood & suction arrangement followed by a duct raised well above the roof levels (at least 2.0 meter above roof level) to channelize the process emissions and submit an compliance report on an affidavit within 06 months and authorizaton under HWM Rules. 

	92
	35518  
	29-10-2010
	BHARAT PETROLEUM CORPORATION LTD
	BRIJWASAN INSTALLATION, BIJWASAN
	SOUTH WEST
	Orange Renewal
	TRANSPORTION OF PETROLEUM PRODUCTS THROUGH UNDERGROUND PIPELINE
	07-12-2010 : Earlier CMC Decision: Decision on 05.08.2010 Issue renewal of consent. Inform to DJB regarding ground water extraction. Details: CTE :issued valid upto 24.01.2006 for the activity laying pipeline for petroleum products. Water Consumption :N/A Waste Water generation : (a) Domestic effluent: N/A (b) Trade effluent: N/A Date of Commissioning:20.03.2007 ETP : N/A Test Report (Water) within limit : N/A Test Report (Air) within limit : N/A NMR submitted : N/A GW: NIL ATR/Remarks: CTO issued valid upto 21.06.2007. Applied for CTO_R on 15.06.2007 vide ID no 21859. CTO_R issued valid upto 01.06.2013 vide consent order no 25513. Unit applied for CTO_R on 02.06.2010 vide ID no 34064. Applied for fresh authorization under HWM Rules on 02.06.2010
	Recommended for grant of renewal of consent and authorization under HWM Rules.
	Issue  renewal of consent and authorization under HWM Rules.

	93
	35525  
	29-10-2010
	NATIONAL FARM
	KH. NO 8/16 (1-7), 25(1-7), 19/20(4-16), 21(4-16), 22/1(10-13.1/2), VILLAGE ALIPUR
	NORTH WEST
	Orange Operate
	FARM HOUSE (A PARTY LAWN).
	16-12-2010 : CMC decision: 26.05.2010 Closure directions be issued. Decision taken on 23.07.2010 for revokation of closure direction subjet to submission of BG ractified.. Details of case: CTE : Applied on 09.07.2010(34462) Water Consumption : 3.2 Kilo ltr/day Waste Water generation : (a) Domestic effluent: 0.2 Kilo ltr/day (b) Trade effluent: 3.0 Kilo ltr/day Date of Commissioning: Aug, 2010 ETP : Installed Test Report (Water) within limit : yes Test Report (Air) within limit : N/A NMR submitted : submitted Gropund Water: 5300 ltr/day ATR: MCD permission dated 13.06.2008 submitted. BG of Rs 1 Lakh each under air act and water act submitted. Closure direction revoked for 60 days.
	Recommended for grant of consent to operate. 
	Revoke closure directions. Issue consent to operate and consent to establish, thereafter, inspection be conducted. Inform to DJB regarding ground water extraction. 

	94
	35528  
	29-10-2010
	GULAB FOOD PRODUCTS
	G-13 LAWRENCE ROAD INDUSTRIAL AREA
	Lawrence Road Industrial Area
	Orange Renewal
	DALL AND BESAN MILL.
	20-12-2010 : Details of Case: CTE : Not Applied Water Consumption :350l/day Waste Water generation : (a) Domestic effluent: 150l/day (b) Trade effluent: Nil Date of Commissioning:since 1999 ETP : N/A Test Report (Water) within limit : N/A Test Report (Air) within limit : Yes NMR submitted : N/A ATR: CTO issued on 30.12.2004. CTO( r) applied on 28.11.2007
	Recommended for grant of renewal of consent.
	Issue  renewal of consent.

	95
	35529  
	29-10-2010
	JOGINDER INDUSTRIES
	PLOT NO.-74, POCKET-H, SECTOR-2, BAWANA INDUSTRIAL AREA
	Bawana Industrial Area
	Orange Operate
	mfg. of steel circlips fasteners springs
	08-12-2010 : CTE : YES valid from 04.06.2010 to 03.06.2011. Water Consumption : 100 klpd Waste Water generation : (a) Domestic effluent: 80klpd (b) Trade effluent: Nil Date of Commissioning: Aug 2010 ETP : NA Test Report (Water) within limit : NA Test Report (Air) within limit : NA NMR submitted : NA earlier decisions 12.05.2010 Issue consent to establish. Subsequently, inspection be conducted. Ask the unit to apply for authorization under HWM Rules. 27.08.2010 Issue SCN u/s 21/22 of the Air Act and u/s 25/26 of the Water Act for not obtaining consent to operate.
	Recommended for grant of consent to operate. 
	Issue  consent to operate. 


	Sl. No 
	ID No
	appl_dt
	firm_name
	firm_address
	area_name
	Activity
	Earlier CMC decision
	ATR / Remarks
	Recommendations of Scrutinizing Committee on 06.01.2011
	Decision recommended by CMC(Orange) on 07.02.2011

	1
	34294
	22-06-2010
	J.P. PULSES
	P-66, SECTOR-3
	BAWANA INDUSTRIAL AREA
	Dall mill
	30.07.2010
Issue consent to establish. Subsequently, inspection be conducted.
	GW: 200 lit/day
Trade Effluent:Nil
DG Set: Nil
Inspection conducted on 26.11.2010
1)plot found empty. No construction activity found.
	Ask the unit not to operate without seeking consent to operate from DPCC. 
	Ask the unit not to operate without seeking consent to operate from DPCC. 

	2
	29825
	11-05-2009
	SHIV MOTOR WORKSHOP
	PLOT NO O-90, POCKET-H, SECTOR-1, DSIDC
	BAWANA INDUSTRIAL AREA
	Mfg of Washing & Servicing / Repairing of Motor Cycle & Car 
	07.05.2010
Issue consent to establish. Subsequently, inspection be conducted. Ask the unit to apply for authorization under HWM Rules
	BUA: 60 Sq mt
GW: 2000 Lt/Day
Water Consumption: 2000 Lt/  Day 
Waste Water:
(a) Dommestic effluent: 300 Lt/ Day 
(b) Trade Effluent:1500 Lt/Day
Year of  estblishment: 2009
Inspection conducted on 07.12.2010
1) The premises found locked.
2) The present condition from the outside reveals that no industrial activity is taken place since long.
3) As enquired from the neighbours also & they have also informed that no industrial activity since long.
	Ask the unit not to operate without seeking consent to operate from DPCC. 
	Ask the unit not to operate without seeking consent to operate from DPCC. 

	3
	34376
	02-07-2010
	V.P. INDUSTRIES
	PLOT NO 59, POCKET-P, SECTOR-1, DSIDC
	BAWANA INDUSTRIAL AREA
	Mfg of Washing & Servicing / Repairing of Motor Cycle & Car 
	06.09.2010
Issue consent to establish. Subsequently, inspection be conducted due to possibility of electroplating on such items.
	BUA :  250sqm
GW:Nil
Water Consumption :
175 Llt/day(no water meter)
Waste Water generation : 
(a) Domestic effluent: 95 ltr/day
(b) Trade effluent: Nil
Date of Commissioning:Aug, 2010 

Inspection conducted on 26.11.2010
1)No industrial Activity going on.
2)Building was under construction.
	Ask the unit not to operate without seeking consent to operate from DPCC. 
	Ask the unit not to operate without seeking consent to operate from DPCC. 

	4
	34377
	02-07-2010
	ZOHRA SURGICAL ENTERPRISES
	PLOT NO 55, POCKET-M. SECTOR-1, DSIDC
	BAWANA INDUSTRIAL AREA
	Engineering Works (Furniture Parts)
	06.09.2010
Issue consent to establish. Subsequently, inspection be conducted.
	BUA :  150 sqm
GW:Nil
Water Consumption :
2000 Llt/day
Waste Water generation : 
(a) Domestic effluent: 90 ltr/day
(b) Trade effluent: Nil
Date of Commissioning:Aug, 2010 
Inspection conducted on 26.11.2010
1) During the inspection M/s Rach Technologies was found in operating.As informed by Sh. Jittendra Khanna that they have taken the premises on lease from M/s Zohra Surgical Enterprises and is partner in M/s Rach Technologies.
2) The operating unit found engaged in making Plastic Products i.e. stool and chair parts (side armrest, wheels etc.) Polystyrene, poly-polystyrene are being used as raw material besides nylon etc.
3) At roof top in shededroom heat treatment to he nylon wheels was being carried out. Heat treatment water having annealing salt, lubricating oil. Asinformed they boil he nylon wheels in the said solution to attain hardness without traetment.
4) At basement after extruding moulding the quemching of arm rest being carried out. Quenching water having recirculation system.
	No action w.r.t. Zohra Surgical Enterprises.
Issue SCN u/s 33(A) of the Water Act to M/s Rach Technologies.
	No action w.r.t. Zohra Surgical Enterprises.
Issue SCN u/s 33(A) of the Water Act to M/s Rach Technologies.

	5
	33040
	08-03-2010
	RAMESH ENGG. CO
	C-232, SECTOR-3, DSIDC
	BAWANA INDUSTRIAL AREA
	Mfg. of Cattle feed and Engg. Work
	26.05.2010
Issue consent to establish. Subsequently, inspection be conducted.
	BUA: 100 sqm
GW: Nil
Water Consumption: 350 lit/day
Waste Water:
(a) domestic effluent: 250 lit/day
(b) Trade Effluent:Nil
Year of  estblishment: 15.04.2010
Inspection conducted on 26.11.2010
1)construction activity going on.
2)Unit yet to be established.
	Ask the unit not to operate without seeking consent to operate from DPCC. 
	Ask the unit not to operate without seeking consent to operate from DPCC. 

	6
	34077
	02-06-2010
	SAR COMPONENTS PVT. LTD.
	G-1, SECTOR-3, DSIDC
	BAWANA INDUSTRIAL AREA
	Mfg. of auto parts with rubber
	30.07.2010
Issue consent to establish. Subsequently, inspection be conducted.
	GW: Nil
Trade Effluent:Nil
DG Set: Nil
Inspection conducted on 24.11.2010
1)During Inspection M/s M.B.Industry in the work of plastic moulding i.e. was found in operation.
2)As informed by Sh. Vikas Arora(Partner) that M/s Sar Components(P) Ltd. Haven't been established. They have taken the premises on rent from M/s Sar Components(P) Ltd. about 4 months ago.
3)The industry found operating having 4 nos. of horizontal injection moulding M/c's of capacity 2*250gms &2*100 gms each respectively. the unit also have 2 nos. of grinding M/c's having inbuilt sound control measures(for reduction of noise)being used for the grinding of discarded/faulty moulded pieces of plastic.
4)Poly Polysterine, High Impact Polysterinegrannules are being used as raw material. In basement, one heat transfer film M/c for printing on lipstic container found installed.(5 nos.-pnuematic+2 by hand)
5)No DG Set found installed.
	Issue SCN u/s 21/22 of the Air Act and u/s 25/26 of the Water Act to M/s M.B. Industry for operating without consent from DPCC.
	Issue SCN u/s 21/22 of the Air Act and u/s 25/26 of the Water Act to M/s M.B. Industry for operating without consent from DPCC.

	7
	28214
	26-11-2008
	BHARTI
	PLOT NO 46, POCKET-M, SECTOR-3, DSIDC INDUSTRIAL COMPLEX
	BAWANA INDUSTRIAL AREA
	Mfg of PVC/Plastic Products Cosmetics Items w/o Trade Effluent
	07.05.2010
Issue consent to establish. Subsequently, inspection be conducted.
	BUA: 60 Sq mt
GW: 500 Lt/Day
Water Consumption: 500 Lt/  Day 
Waste Water:
(a) Dommestic effluent: 300 Lt/  Day 
(b) Trade Effluent:Nil
Year of  estblishment:Jan 2009
Inspection conducted on 15.12.2010
1)The unit was found under construction.
	Ask the unit not to operate without seeking consent to operate from DPCC. 
	Ask the unit not to operate without seeking consent to operate from DPCC. 

	8
	30768
	20-07-2009
	SUPER INDUSTRIES
	M-43, SECTOR-1, DSIDC
	BAWANA INDUSTRIAL AREA
	Mfg. of Rubber Goods & Plastic Goods.
	11.10.2010
Inspection be conducted for air emission aspects. Inform to DJB regarding ground water extraction. 
	CTE : yes
Water Consumption :100lpd
Waste Water generation : 
(a) Domestic effluent: 50lpd
(b) Trade effluent: nil
Date of Commissioning: 2005
ETP : NA.
STP :  No. 
CTE issued on 21.09.2005 valid til 20.09.2006
CTO applied on 21.07.2006
CTO applied on 20.07.2009

Inspection conducted on 21.12.2010
1)The unit was found in operation in operation in the work of making rubber goods (rubber wheels),(rubber legs)
2)Hydrolic M/C's and Hand press being used for making Rubber Sheets. Exhaust Fans found fitted in the ground floor roof over the rolling machine for dispertion of the process emissions.
3)Having ane M/c shop for making correction of dies &other M/c's to specification.
	Issue 21/22 of the Air Act and u/s 25/26 of the Water Act. 
	Issue SCN u/s 31(A) of the Air Act for proper channelization.

	9
	34575
	21-07-2010
	STANDARD EQUIPMENTS
	PLOT NO 16, POCKET-J, SECTOR-4, DSIDC
	BAWANA INDUSTRIAL AREA
	Mfg. of Plastic Products with Engineering  works (Kitchen equipments)
	06.09.2010
Issue consent to establish. Subsequently, inspection be conducted to know the phosphating activity.
	BUA : 60 sq. mts.
GW: Nil
Water Consumption : 0.2 kil ltrl/day
Waste Water generation : 
(a) Domestic effluent:  0.15 kil ltr/day
(b) Trade effluent: Nil
Date of Commissioning:  Aug, 2010.
Inspection conducted on 21.12.2010
1)No industrial activity found in operation
2)Premises found vacant
	Ask the unit not to operate without seeking consent to operate from DPCC. 
	Ask the unit not to operate without seeking consent to operate from DPCC. 

	10
	29131
	26-02-2009
	DEEPAK RUBBER WORKS
	D-218, SECTOR-5, DSIDC
	BAWANA INDUSTRIAL AREA
	Mfg of AutoParts With Rubber
	07.05.2010
Issue consent to establish. Subsequently, inspection be conducted.
	BUA: 99.36 Sq mt
GW: Nil
Water Consumption: 300 Lt /  Day 
Waste Water:
(a) Dommestic effluent: 200 Lt/ Day 
(b) Trade Effluent: Nil
Year of  estblishment:2009
Inspection conducted on 21.12.2010
1) The unit was in operation in the basement and was found engaged in the work of makng Rubber Auto Products
2) Exhaust fan provided for desperssion of process emissions.
3) No suction &hood arrangement provided over the rubber rolling M/c.
4)At G.F another unit naming M/s Ashu Powder Coating worrk also found in  operation without having valid consent. The unit having one powder coating booth fitted with cyclone system and one L.P.G. fired baking oven. As informed by Sh. Ashu S/o Md. Yashin that they are operationg on rent.
	Issue SCN u/s 31(A) of the Air Act to M/s Deepak Rubber Works.
Issue SCN u/s 21/22 of the Air Act and u/s 25/26 of the Water Act to Ashu Powder Coating for operating without consent from DPCC.
	Issue SCN u/s 31(A) of the Air Act to M/s Deepak Rubber Works.
Issue SCN u/s 21/22 of the Air Act and u/s 25/26 of the Water Act to Ashu Powder Coating for operating without consent from DPCC.

	11
	34029
	31-05-2010
	GEETA ENTERPRISES
	PLOTNO 122,POCKET-N, SECTOR-5, DSIDC
	BAWANA INDUSTRIAL AREA
	Mfg. of Fabrication of fire fighting vehicles and equipments (Trailer and pumps)
	30.09.2010
Inspection be conducted for checking whether the activity falls under negative list.
	BUA: 90 sqm
GW: Nil
Water Consumption: 250 lit/day
Waste Water:
(a) domestic effluent: 200 lit/day
(b) Trade Effluent:Nil
Year of  estblishment: July, 2010
Inspection conducted on 14.12.2010
1) The unit was found engaged in the work of engineering work making different metal articles being used in fire fighting vehicles/equipment.
2) No electroplating/ powder coating or painting process being carried out.
3)No mfg and fabrication of fire fighting vehicles carried out.
	Recommended for grant of consent to establish. Issue SCN u/s 21/22 of the Air Act and u/s 25/26 of the Water Act for operating without consent to operate.
	Issue consent to establish. Issue SCN u/s 21/22 of the Air Act and u/s 25/26 of the Water Act for operating without consent to operate.

	12
	32014
	26-11-2009
	NARESH METAL INDUSTRIES
	PLOT NO 64, POCKET-O, SECTOR-5, DSIDC
	BAWANA INDUSTRIAL AREA
	Mfg of PVC compounds(Fresh)
	Decision on 21.12.2009 / 22.12.2009
File be put up administratively. 
27.04.2010
Issue SCN.
19.08.2010
Notice be served through personal deliever / pasting. Inspection may also be conducted. 
	ground water consumption. 160l/day
CTE refused on 28.02.2006.
SCN issued to unit on 09.06.2010. No reply received.
Inspection conducted on20.12.2010
1)unit found locked
2)Board of KPR Industry was hanging on the gate.
3)the person contacted told us that the factory has been closed due to his accident.
4)the owner of M/s Naresh matal Industry was called through phone and the letter was given by hand to him.He showed us the premises and the premises was found vacant. He further informed that due to the accident of him he could not carried out the industrial acticity further. He rented out the premises to KPR Industry which has also vacated the premises since long. 
	Ask the unit not to operate without seeking consent to operate from DPCC. 
	Ask the unit not to operate without seeking consent to operate from DPCC. 

	13
	29047
	18-02-2009
	MURARI BROS (I) PVT. LTD.
	PLOT NO J-279, SECTOR-3, POCKET-O, DSIDC
	BAWANA INDUSTRIAL AREA
	Mfg of Aryuvedic Medicines & Cosmetic Items( Without Trade Effluent)
	07.05.2010
Issue consent to establish. Subsequently, inspection be conducted.
	BUA: 150 Sq mt
GW: Nil
Water Consumption: 200 Lt /  Day 
Waste Water:
(a) Dommestic effluent: 150 Lt/ Day 
(b) Trade Effluent: Nil
Inspection conducted on 24.11.2010
1) The unit was found in operation engaged in the work of making kajal and ubton.
2) The ubton is being prepared at ground floor by pulverizing process. the pulverizing M/c having bag filter arrangement for the contrl of dust emission. however, dust collector have not been installed. packing of ubton also being carried out.
3) Kajal is also being prepared at 1st floor in a mixer different ingredient being mixed and after that filling in small containers also being carried out.As informed by person contacted no container washing activity carried out by them.
	Issue SCN u/s 31(A) of the Air Act.
	Issue SCN u/s 31(A) of the Air Act.

	14
	34440
	08-07-2010
	HINDUSTAN POLY PLAST
	PLOT NO D-242, POCKET-N, SECTOR-3, DSIDC
	BAWANA INDUSTRIAL AREA
	Mfg. of Plastic products.
	06.09.2010
Issue consent to establish. Subsequently, inspection be conducted due to possibility of electroplating on such items.
	BUA :250 sq. mts.
GW: Nil 
Water Consumption : 165 Litres/day
Waste Water generation : 
(a) Domestic effluent: 90 ltr/day
(b) Trade effluent: Nil
Date of Commissioning: Aug, 2010.
Inspection conducted on 15.12.2010
1) During inspection no industrial activity was going on. The activity have not established till date.
2)At present as seen & as reported by Sh. Ajay Goyal the person contacted, they are doing the trading of copper wire &premises being used as their office.
	Ask the unit not to operate without seeking consent to operate from DPCC. 
	Ask the unit not to operate without seeking consent to operate from DPCC. 

	15
	32503
	20-01-2010
	HINDUSTAN LABORATORIES(REGD)
	PLOT NO NE-230, SECTOR-3, DSIDC
	BAWANA INDUSTRIAL AREA
	Mfg of cosmetics & perfumery
	23.03.2010
Ask the unit to provide clarification regarding source of water and apply for consent to establish.
23.03.2010
 Inspection be conducted to know the generation of trade effluent.
	Ground water consumption 150 lpd
CTE applied on 10.07.2009.
Letter issued to unit on 26.04.2010. No reply received.
1) the unit was found in operation.
2) At basement, plastic moulding (by blowing & injection process) was going on.
3) The unit was found manufacturing compact and talcum powder filling
4) at top floor, unit having two nos. of ball mills. For mixing of different ingredients grannular mixer being used.
5) No significant emission was observed as the compact powder mixer having moisture.
6)No source of effluent discharge from process observed. As informed, they are not doing any container washing.
7) Having MCD water connection & a tube ell as the source of water.
	Recommended for grant of consent to operate. 
	Issue consent to operate. 

	16
	32982
	03-03-2010
	SUPER SYSTEMS
	PLOT NO 15, POCKET-N1, SECTOR-5, DSIDC
	BAWANA INDUSTRIAL AREA
	Mfg. of Auto parts
	26.05.2010
Inspection be conducted to ascertain the exact mfg. process.
27.08.2010
Inspection be expedited.
	BUA: 250 sqm
GW: Nil
Water Consumption: 115 lit/day
Waste Water:
(a) domestic effluent: 45 lit/day
(b) Trade Effluent:Nil
Year of  estblishment: 2006
CTE issued on 14.06.06. Expired on 13.06.07.
Applied for CTO on 18.09.06.
Applied for CTO on 03.03.2010.
Inspection yet to be done.
Inspection conducted on 14.12.2010
1) The unit was found in operation , making Auto partsi.e. gas filled springs of different sizes and specifications.
2)Nitrogen gas being used as filling gas.
3)Besides Engineering Work the unit also having a spray booth which having inbuilt water sheet arrangement being used as srubber to the process emissions of spray paint work. the said booth also have duct arrangement which is fitted with blower fan within the top of booth.
4) The said duct being used to channelize the process emissions escaped after scrubbing. The duct connected to a drum (plastic) placed on the Ground floor toilet roof at front. The height of stack provided in the drum is inadequate in height.
5) A DG Set of 62.5KVA installed at the rooftop in a shed was without acoustic enclosure/acoustic treatment & also having inadquate stack height. As reported that the D.G. Set is being used on Saturday because they are operating their unit on Saturday which is a non working day of the area.
	Issue SCN u/s 31(A) of the Air Act.
	Issue SCN for refusal of consent, SCN u/s 31(A) of the Air Act and SCN u/s 5 of the EPA.

	17
	34634
	27-07-2010
	S.R. CHEMICALS
	N-22, SECTOR-5, DSIDC
	BAWANA INDUSTRIAL AREA
	Mfg. of Plastic Products & Hardware Goods
	30.09.2010
Inspection be conducted for possibility of metal surface treatment. 
	BUA :  200sqm
GW: Nil
Water Consumption :
300 Llt/day
Waste Water generation : 
(a) Domestic effluent: 200 ltr/day
(b) Trade effluent: NIL
Date of Commissioning: 2010
CTE issued to the firm on 13/04/2010
Inspection conducted on 14.12.2010
1) The unit was found engaged in the activity of making plastic items (for hardware) and Hardware item.
2) No tower bolt, hinges facility was found to exists. As informed by the person contacted, tower bolts and hinges not being manufacturing by them.
3)No electroplating work is going on. No phosphating facility exists. As informed they are not engaged in the work of electroplating/phosphating.
	Recommended for grant of consent to operate. 
	Issue consent to operate with the condition to provide hood & suction arrangement followed by a duct raised well above the roof levels (at least 2.0 meter above roof level) to channelize the process emissions and submit an compliance report on an affidavit within 06 months. 

	18
	24075
	31-10-2007
	KHARBANDA ELECTRIC TRADING CO
	PLOT NO 146, POCKET-K, SECTOR-2, DSIDC INDUSTRIAL COMPLEX
	BAWANA INDUSTRIAL AREA
	mfg of PVC wire & cable & transfromer without trade effluent
	20.10.2010
Issue Consent to Establish. Subsequently, inspection be conducted.
	Inspection conducted on 23.12.2010
1)The unit was found in operation. On shielded co-axial cable outer PVC sleeve being extruded.
2)No suction/ Hood ducting being installed over the extruding M/c. Process emissions being disperssed through exhaust fan.
3) No transformer making activity exists. They informed that the transformer yet to be established. 
	Issue SCN u/s 31(A) of the Air Act.
	Issue SCN u/s 31(A) of the Air Act.

	19
	32766
	11-02-2010
	ANNPURNA PLASTIC INDUSTRIES
	PLOT NO 255, POCKET-C, SECTOR-5, DSIDC
	BAWANA INDUSTRIAL AREA
	mfg of plastic material 
	23.03.2010
Issue SCN for refusal of consent.
27.08.2010
Re-inspection by AEE be conducted.
	CTE granted & valid upto 14.12.2010.
Inspection not allowed on 05.02.2010 and informed by guard no activity is carried out in the premises. 
SCN issued to unit on 26.04.2010. Reply received from the unit on 06.05.2010 and stating that on the date of inspection, owner of the premises was out of station and workers are not  permitted to allow any one inside the premises in the absence of owner.

Inspection conducted on  14.12.2010
1) During the inspection the unit was found in operation.
2) The unit was found engaged using fresh waste from agrofilms.
3) No DG Set found installed.
4) Exhaust fan has been provided over the venticular for the dispersion process emission.
	Recommended for grant of consent to operate. 
	Issue consent to operate with the condition to provide hood & suction arrangement followed by a duct raised well above the roof levels (at least 2.0 meter above roof level) to channelize the process emissions and submit an compliance report on an affidavit within 06 months. 

	20
	34772
	09-08-2010
	S.P. ENGINEERING WORKS
	PLOT NO 237, POCKET-I, SECTOR-5, DSIDC
	BAWANA INDUSTRIAL AREA
	Job Work of Electroplating
	06.09.2010
Issue consent to establish. Subsequently, inspection be conducted.
	BUA :  60 sq. mts.
GW: 200 litres./Day
Water Consumption : 300 Litres/day
Waste Water generation : 
(a) Domestic effluent:150 ltrs/day
(b) Trade effluent:100 Lits/Day
Date of Commissioning: Sept, 2010.

Inspection conducted on  20.12.2010
1) Building was found constructed.
2) Premises found locked. As informed by neighbours that no industrial activity being carried out & premises laying vaccant.
	Ask the unit not to operate without seeking consent to operate from DPCC. 
	Ask the unit not to operate without seeking consent to operate from DPCC. 

	21
	34382
	02-07-2010
	SAC POLYMERS
	G-204, SECTOR-5, DSIDC
	BAWANA INDUSTRIAL AREA
	Mfg. of PVC compound and sleeves
	06.09.2010
Issue consent to establish. Subsequently, inspection be conducted to ascertain the water pollution. 
	BUA :  250 sq m
GW:Nil
Water Consumption :
300 Llt/day(no water meter)
Waste Water generation : 
(a) Domestic effluent: 150 ltr/day
(b) Trade effluent: 600 ltr/day
Capacity of D.G set 75KVA; stack height 3m above roof level.
Date of Commissioning:Existing since 1995
Inspection conducted on  23.12.2010
1) The unit was found in operation.
2)During the inspection PVC Compound (Dana) making & PVC sleeve making work was going on. The unit using fresh PVC resin for the making of PVC compound.
3)Exhaust fans at the ventilators has been provided for the desperssion fo process emissions.
4)A DG set of 125 KVA has been found installed at the roof top in a shed without having adequate stack & accoustic enclosure. As informed by the person contacted that they are not using the said DG set as their is no power cut in the area but the same is provided as a condition with MNC. The connection from battery & DG set were found disconnected.
	Ask the unit to provide acoustic enclosure and adequate stack height with the D.G. Set and submit noise monitoring report of the D.G. Set from approved laboratory of DPCC. 
	Ask the unit to provide acoustic enclosure and adequate stack height with the D.G. Set and submit noise monitoring report of the D.G. Set from approved laboratory of DPCC. 

	22
	34570
	21-07-2010
	UTILITY POWER SYSTEMS
	PLOT NO 1, POCKET-J, SECTOR-2, DSIDC
	BAWANA INDUSTRIAL AREA
	Engineering Works 
	05.10.2010
Inspection be conducted.
	Inspection conducted on  23.12.2010
1) The unit is yet to be established.
2) Costruction of the building was in progress.
	Ask the unit not to operate without seeking consent to operate from DPCC. 
	Shift to CMC(Green) Committee as case is of Green category.

	23
	29635
	23-04-2009
	YASH ENTERPRISES
	PLOT NO 150, PHASE-II
	SHAHZADA BAGH INDUSTRIAL AREA
	Plastic Rain Sheet (waterproof barsati tirpal)
	07.5..2010
File be put up administratively.
	CTO issued on 14.05.03. Expired on 25.07.05.
Applied for CTE on 23.04.09
Inspection conducted on  27.12.2010
1) The unit was found in operation. During the inspection no plastic rain sheet was being manufactured. The unit was found manufacturing LDPE grannules from imported LDPE waste which they called plastic Aglo waste.
2)The unit having suction & hood arrangement followed by a stack which is about 12' from IInd floor roof.
	Consent refused as unit is engaged in mfg .of PVC dana. Issue SCN u/s 21/22 of the Air Act and u/s 25/26 of the Water Act.
	Issue SCN for refusal of consent. 

	24
	34813
	10-08-2010
	S.K. ENTERPRISES
	B-10, DSIDC
	JHILMIL INDUSTRIAL AREA
	Mfg. of Plastic Moulded Electricals & Electronics  Good & Sanitary Bath Fittings (Engineering works) & Hosiery Goods.
	
30.09.2010:
Inspection be conducted.w.r.t. electroplatingand buffing activity.
	BUA : 80 sq. mts.
GW:Nil litres./Day
Water Consumption :
100 Litres/day
Waste Water generation : 
(a) Domestic effluent:Nil
(b) Trade effluent: Nil
Date of Commissioning: July,2010.

Inspection conducted on 11.11.2010
1)unit found engaged in injection moulding of plastic products
2) no channelization was provided.
Other uni:- Naresh Sanitary
prop. Sh. Naresh Goyal operating at I &II Floor engaed in the Mfg. of bathroom fitting with grinding & buffing W/o ECS and W/o consent from DPCC. No measures for HW are taken.
3)Another unit M/s shyamal Goyal , A-18, DSIDC Ind. complex, jhillmil ind area was found engaged in the activity of super enamelling work w/o consent and not provided ECS with the stack & no measure for hazardous waste was taken. One D.G set of 62.5 KVA was also found installed without A/E. 
	Recommended for grant of consent to operate to M/s S.K. Enterprises. 
Issue SCN u/s 31(A) of the Air Act to M/s Shyamal Goyal,A-18, DSIDC Indl. Complex, Jhilmil Indl. Area based on findings of inspection. 
	Issue consent to operate to M/s S.K. Enterprises. 
Issue SCN u/s 31(A) of the Air Act  and u/s 5 of the EPA Act to M/s Shyamal Goyal,A-18, DSIDC Indl. Complex, Jhilmil Indl. Area based on findings of inspection.  Issue SCN u/s 31(A) of the Air Act to M/s Naresh Sanitary based on findings of inspection.

	25
	34283
	21-06-2010
	GOPAL ENTERPRISES
	458-466, GALI NO 8, SHAMBHUNATH COMPOUND
	FRIENDS COLONY INDUSTRIAL AREA
	metallic aaccessories with powder coating
	30.07.2010
Issue consent to establish. Subsequently, inspection be conducted.
	BUA :  110 sqm
GW: nIL.
Water Consumption :200 Lit/day
Waste Water generation : 
(a) Domestic effluent: 100 ltr/day
(b) Trade effluent: Nil
Date of Commissioning: JULY 2010.

DG set: Nil
Inspected on 16.12.10. This unit does not exist any more. Other units 
operating w/o consent are:1- PVC Dana mfg unit at GF, 2-Powder coating 
unit Prop sh manoj Arya at FF,3- Vaccant SF&TF.
	Issue SCN u/s 21/22 of the Air Act and u/s 25/26 of the Water Act to unit engagged in PVC Dana at Ground Fooor and Issue SCN u/s 31(A) of the Air Act to unit engaged in powder coating at First Floor.
	Issue SCN for revocation of consent to M/s Gopal Enterprises. Issue SCN u/s 21/22 of the Air Act and u/s 25/26 of the Water Act to unit engagged in PVC Dana at Ground Fooor and Issue SCN u/s 31(A) of the Air Act to unit engaged in powder coating at First Floor.

	26
	31497
	18-09-2009
	PLAZA INDUSTRIES
	PLOT NO A-7/4
	JHILMIL INDUSTRIAL AREA
	Mfg of sanitary fittings (with Casting w/o Plating) 
	25.01.2010
Ask the unit to submit adequacy report from empanelled consultant of DPCC. 
19.08.2010:
Inspection be conducted to check the furnace.
	BUA :404 sqm
GW: Nil.
Water Consumption :200 Lit/day
Waste Water generation : 
(a) Domestic effluent:100 ltr/day
(b) Trade effluent: Nil
Date of Commissioning: 1980. Existing.
D.G.Set:62.5 KVA.

Inspection conducted on 20.12.2010
1) Inspected to see the type of furnace, it is pit furnace in the unit.
2) ECS (Bag house) has been provided by the unit with casting and buffing and grinding sections
3) No plating is done in this plot.
4) D.G. Set is with acoustic enclosure and adequate stack height
	Recommended for grant of renewal of consent. Ask the unit to apply for fresh authorization under HWM Rules.
	Issue renewal of consent. Ask the unit to apply for fresh authorization under HWM Rules.

	27
	24571
	24.12.07
	Gopal Corporation
	205, FIE
	Patparganj Industrial Area
	Mfg. of Chewing Tobacco
	
CMC Decisions  on 20.10.09
Issue consent to Establish. Subsequently, inspection be conducted.
	BUA :  1236 sqm
GW: Nil.
Water Consumption :500 Lit/day
Waste Water generation : 
(a) Domestic effluent: 150 ltr/day
(b) Trade effluent: Nil
Date of Commissioning: Feb 2008.
CTE granted valid upto 24.11.2010.

Inspection conducted on 01.12.2010 :
-Unit found locked.
-As informed by the local that unit is non operational for about 5 months back.
	No action.
	Issue SCN for revocation of consent. 

	28
	32340
	04-01-2010
	SHIV NATH RAI MAUJI RAM
	A-2, DSIDC
	JHILMIL INDUSTRIAL AREA
	Electronic & Electrical goods (Chock & magnet fitting)
	23.03.2010
Ask the unit to clarify mfg. process and date of start of operation of the unit.
	BUA :  250 sqm
GW: Yes.
Water Consumption :40 Lit/day
Waste Water generation : 
(a) Domestic effluent: 20 ltr/day
(b) Trade effluent: Nil
Date of Commissioning: 2006
Applied for CTO on 04.01.2010.
Letter issued to unit on 26.04.2010. Reply received from unit on 
28.05.2010.
DG set: 62.5KVA with A/E & 15 KVA(non functioal), with out A/E and st. ht. 
inadequate.
Inspected on .20.11.2010:
Unit has two .powder coating plant.with inadequate st height.
Capital investment has been shown wrong as it was reported to be 
Rupees.24.83 Lac.
Following  units are also found operating w/o consent in a plot opp to it:
(1). Sangam Auto Industries, M/s Sultan Electroplating, DSIDC, B-45, Shed 
no.8.(2).Deepak Graphics, Shed no.7, B-45, JIA, Delhi, with activity printing /plate 
making.(3) .Raj Auto Ind. Shed no.6. B-45, JIA, Delhi, with activity plastic Auto parts.
(Proprriater). (4.) Kamlesh,Shed no.5. B-45, JIA, Delhi, with activity injection moulding.
5.Vinod Kumar,Shed no.3. B-45, JIA, Delhi, with activity Printed Ciruit Board 
with trade effluent. Vikash Malhotra(Proprriater). (6) .M/s Jagan Prashad,.(Propriater),Shed no.2. B-45, JIA, Delhi, with activity 
PVC granules. (7).Jagdish Kumar, PVC (granules) , shed no.1.B-45, JIA, Delhi,
	Issue SCN for refusal of consent and SCN u/s 31(A) of the Air Act to N/s Shiv Nath Rai Mauji Ram. 
Issue SCN u/s 31(A) of the Air Act to other units namely (i) M/s Deepak Graphics (ii) M/s Raj Auto Inds (iii) M/s Kamlesh (iv) M/s Vinod Kumar (v) M/s Jagan Prasad (vi) M/s Jagdish Kumar found during inspection.
Issue SCN u/s 31(A) of the Air Act and u/s 33(A) of the Water Act to M/s Sangam Auto Industries found during inspection. 
	Issue SCN for refusal of consent and SCN u/s 31(A) of the Air Act to N/s Shiv Nath Rai Mauji Ram. 
Issue SCN u/s 31(A) of the Air Act to other units namely (i) M/s Deepak Graphics (ii) M/s Raj Auto Inds (iii) M/s Kamlesh (iv) M/s Vinod Kumar (v) M/s Jagan Prasad (vi) M/s Jagdish Kumar found during inspection.
Issue SCN u/s 31(A) of the Air Act, u/s 33(A) of the Water Act and u/s 5 of the EPA to M/s Sangam Auto Industries found during inspection. 

	29
	30770
	20-07-2009
	CHINTAMANI FOOD & SNACKS (PVT.) LTD. (UNIT-I)
	A-57
	JHILMIL INDUSTRIAL AREA
	Mfg of Food& Snaks Viz. Alu Bhujia, Bikaner Bhujia, mung dal, Khatta mitha, Nav Rattan, Corn Flake, Mixture Tasty, Bhel puri, Bhava Nagar, Ratan Sev, sathia, sweets etc.
	11.10.2010:
Inspection be conducted for ascertaining the production capacity.
	CTE : No
Water Consumption :300 lits/day
Waste Water generation : 
(a) Domestic effluent: 200 lits/ day.
(b) Trade effluent: nil
Date of Commissioning: Sept 2002 (existing). 
ETP : O/G Trap Provided. .
STP : Not provided.. 
Test Report (Water) within limit :  Not submitted.
Test Report (Air) within limit :  Not submitted.
NMR submitted :  NA.
Inspection conducted on 15.12.2010 for ascertaining the production capacity.                  
1) It was informed that they are only manufacturing 250-350 kg/day of 
namkeen, though in affidavit they have mentioned their production 
capacity 500 kg/day.
2) Oil and Grease trap was found to be installed.
	Recommended for grant of renewal of consent. 
	Ask the unit to submit the affidavit regarding production capacity. If unit does so, renewal of consent be issued.

	30
	31498
	18-09-2009
	METRO SANITATIONS PVT LTD
	PLOT NO A-5/10
	JHILMIL INDUSTRIAL AREA
	Mfg of Bathroom sanitary fitting with electroplating casting and buffing.
	25.01.2010
Ask the unit to submit adequacy report from empanelled consultant of DPCC. 
19.08.2010:
Inspection be conducted to check the furnace.
	Inspected on 20.12.2010:
1.The unit has a pit furnace furnace for the casting purpose, which is LDO fired.
2.ECS has been provided with furnace, grinders & filtering machine.
3.D.G.Sets are with A/E & adequate stack height.
4.E.T.P has  also been installed  and found in working condition.
	Recommended for grant of renewal of consent. Ask the unit to apply for fresh authorization under HWM Rules.
	Issue renewal of consent. Ask the unit to apply for fresh authorization under HWM Rules.


	Sl .No
	ID No
	appl_dt
	firm_name
	firm_address
	area_name
	Proposed  Activity/ Product
	Earlier CMC Decisions  
	ATR / Remarks
	Findings of Inspection
	Recommendations of Scrutinizing Committee on 06.01.2011
	Decision recommended by CMC(Orange) on 07.02.2011

	31
	33873
	14.05.2010
	ALERT
 INTERNATIONAL 
	F-1
	UDYOG NAGAR
 INDUSTRIAL AREA
	Mfg. of fresh PVC compound, 
PVC Belts and shoe soles 
	 
	CTE Issued valid upto 16.05.2007 vide consent no. 14615 
Unit has applied for CTE on. 20.02.2006 vide ID no. 17789.
Unit has applied for CTO on .16.05.2007 vide ID no.21352.
Trade Eff: Nil 
D.G Set : Nil
Year of commencement: March 2006
Plot Area:-1800 sqm
Ground Water:Nil
	Inspection conducted on 19.11.2010
during the inspection following were
observed:
1.) Unit found operational and engaged in the activity of Mfg. of  PVC compound, 
PVC Belts and PVC shoe soles.
2.) Smoke produced from the mixing machine does not having any pollution control device.
3.) One D.G. Set of 82.5 KVA found installed without acoustic enclosureand improper stack height.   
	Issue SCN for refusal of consent and SCN u/s 31(A) of the Air Act for closure of the unit. 
	Issue SCN for refusal of consent and SCN u/s 31(A) of the Air Act for closure of the unit. 

	32
	30900
	28-07-2009
	MATHARU ENGINEERING WORKS
	K-15
	UDYOG NAGAR INDUSTRIAL AREA
	Mfg. of Automobile
 parts & casting
	 
	Earlier CTO issued twice
 valid upto 17.08.2003 & 
17.08.2006
CTO_R issued valid
 upto 17.08.2009
Trade Eff: Nil 
D.G Set : Nil
Year of commencement: March 1993
Plot Area:-521.4 sqm
Ground Water:Nil
	Inspection conducted on 19.11.2010
during the inspection following were
observed:
1.) Unit found opeartional & engaged in the activity of Mfg. of automobile parts & casting.
2.) One oil fired furnance using diesel as a fuel found installed with stack height of 8m above.
3.) No ECS found installed above the furnance.
4.) One D.G.set found installed with acoustic enclosure and proper stack height. 
	Decision be deferred till clarification from DDA.
	Decision be deferred till clarification from DDA.

	33
	32525
	22-01-2010
	PRITAM SINGH & SONS
	B-12, PHASE-I
	MAYAPURI INDUSTRIAL AREA
	Agriculture Impliments 
i.e. Cultivators & Harrow 
without Forging
	Decision on 
23.03.2010
Ask the unit to apply for Consent to Establish. 
	Letter issued to the unit on 07.05.2010.
Earlier CTE issued valid upto 06.09.2011 vide consent no.
 25435.
CTO_R issued valid upto 21.04.2007 vide consent no. 10556.
Unit has applied for CTO_R on 12.03.2007 vide ID no.  20832.
Trade Eff: Nil 
D.G Set : Nil
Year of commencement: 1968
Plot Area:-2000 sqm
Ground Water:Nil
	Inspection conducted on 22.11.2010
during the inspection following were
observed:
1.) Unit found operational and engaged in the activity of Agriculture Impliments.
2.) One D.G.set of 7.5 KVA found installed without acoustic enclosure & improper stack height. 
3.) One milling machine , lathe machine , shaper are dismentled only drill amchine is in operational.
4.) Recently only selling of agricultural parts are carried out.  
 
	Issue SCN for refusal of consent and SCN u/s 31(A) of the Air Act for closure of the unit. 
	Issue SCN for refusal of consent and SCN u/s 31(A) of the Air Act for closure of the unit. 

	34
	34039
	31.05.2010
	NEELKANTH
 INDUSTRIES
	B-57/4A, 
PHASE-I
	MAYAPURI
INDUSTRIAL 
AREA
	Stainless steel, kitchen
 sink & other kitchen 
items with buffering 
	 
	CTO Issued valid upto
 25.07.2005.
CTEissued valid upto 08.02.2010 vide consent no. 19632 under Green category for the activity of assembly of kitchen items without buffering.
Unit applied for CTO_R on 03.06.2005 vide ID no.14299.
Trade Eff: Nil 
D.G Set : Nil. 
Year of commencement: 1998
Plot Area:-350 sqm
Ground Water:Nil
	Inspection conducted on 22.11.2010
during the inspection following were
observed:
1.) Unit found operational & engaged in the activity of Stainless steel, kitchen sink & other kitchen items.
2.) Unit generating Hazardous Waste in the form of sludge from buffring activity.
3.) Buffring activity is carried out with proper channelization and ECS installed but did not work at the time of inspection.
4.) ECS found but in dismentle condition due to maintenance.  
	Issue SCN for refusal of consent and SCN u/s 31(A) of the Air Act for closure of the unit. 
	Issue SCN for refusal of consent and SCN u/s 31(A) of the Air Act for closure of the unit. 

	35
	34038
	31.05.2010
	SEKHRI
 BROTHERS
	B-57/4,
 PHASE-I
	MAYAPURI
INDUSTRIAL 
AREA
	Stainless steel, kitchen
 sink & other kitchen 
items
	 
	Earlier CTO Issued valid upto 25.07.2005 vide consent no.6918.
Unit applied for CTO_R on 03.06.2005 videID no.14300.
Trade Eff: Nil 
D.G Set : 160 KVA, NMR submitted on 29.04.2010.  
Year of commencement: 1968
Plot Area:447sq. Yards.
Ground Water:Nil
	Inspection conducted on 22.11.2010
during the inspection following were
observed:
1.) Unit found operational & engaged in the activity of Stainless steel, kitchen sink & other kitchen items.
2.) Unit generating Hazardous Waste in the form of sludge from buffing activity.
3.) Buffing activity is carried out with proper channelization.
4.) Scrap generating which sell to the authorised person & bills showed at that time of inspection. 
5.) ECS found but in dismentle condition due to maintenance.
6.) One D.G. set found installed with acoustic enclosure and proper stack height.
     
	Issue SCN for refusal of consent and SCN u/s 31(A) of the Air Act for closure of the unit. 
	Issue SCN for refusal of consent and SCN u/s 31(A) of the Air Act for closure of the unit. 

	36
	32329
	04.01.2010
	TWO BROTHERS
 PVT. LTD.
	A-51/3, 
PHASE-I
	NARAINA 
INDUSTRIAL
 AREA
	PVC Footwear &
 binding of stationary items 
	Decision on
 23.03.2010.
Ask the unit to apply for Consent to Establish.
	Letter issued to the unit on. 24.11.2010.
Earlier CTO_R issued valid upto 13.06.2007 vide consent no.4639.
Earlier CTO issued valid upto 30.04.2006 vide consent no.8171.

Applied for CTO_R on 17.04.2006 vide ID no 18048.
Plot area: 470 sq.yards
D.G.Set: Nil
Trade effluent: Nil 
Domsetic effluent: 0.05 KLD 
Year of commencement: 2003.
	Inspection conducted on 24.11.2010
during the inspection following were
observed:
1.) Unit found operational and engaged in the activity of PVC footwear & binding of stationary items.
2.) One D.G. set of 125 KVA found uninstalled without acoustic enclosure.
	Issue SCN for refusal of consent.
	Issue SCN for refusal of consent and SCN u/s 31(A) of the Air Act for closure of the unit.

	37
	33278
	23-03-2010
	PARMARAS JOGIAN INDUSTRIES
	C-5
	NANGLOI 
DSIDC 
INDUSTRIAL
 AREA
	Mfg. of Puch Tap 
Concertina Coil.
	 Decision on  26.05.2010
Ask the unit to apply for consent to establish. Inspection be conducted.

Decision on 27.08.2010
CTE applied on 28.07.2010. Inspection be expedited w.r.t galvanizing activity.
	Letter issued on 07.07.2010. Reply awaited.
CTO issued valid upto 29.12.2006
Trade effluentt: nil
D.G.Set: nil
GW: nil
Plot Area: 150 sqm
Year of commencement:1980
	Inspection conducted on 20.09.2010 During the inspection following were
observed:
1.) Unit found operational and engaged in the activity of Mfg. of Puch Tap Concertina Coil.
2.) One D.G set of 30 KVA found installed at site without acoustic encloser and improper stack height.
3.) One galvanising plant found installed at site.
4.) Using cutting oil in lathe machine & power press.
5.) Metal scrap generate from the activity is sold to the scrap dealer.No current bill shown at the time of inspection
	Issue SCN for refusal of consent and SCN u/s 31(A) of the Air Act for closure of the unit. 
	Issue SCN for refusal of consent, SCN u/s 31(A) of the Air Act and SCN u/s 33(A) of the Water Act for closure of the unit. 

	38
	30853
	24-07-2009
	SHYN
 INDUSTRIES
	A-9
	NARAINA 
INDUSTRIAL 
AREA PH-I
	Mfg. & trading of home 
sanitation and textile 
auxilaries.
	 
	Earleir CTO issued twice valid upto 21.03.2003 & 06.05.2006 for the activity of mfg & trading of chemicals
CTO_R issued valid upto 10.07.2009
CTE : Not required.
Water Consumption : 600 LPD
Waste Water generation : 
(a) Domestic effluent: 100 LPD
(b) Trade effluent: nil
Date of Commissioning: 1979 
ETP : NA
STP : NA
Test Report (Water) within limit : Yes / No / NA.
Test Report (Air) within limit : Yes . 
NMR submitted : datd 20.07.2009, D.G. set of 15 KVA installed 
No of Workers: 8
Plot area: 334 sqm
	Inspection conducted on 21.12.2010 During the inspection following were
observed:
1.) Unit found operational and engaged in the activity of Mfg. & trading of home sanitation and textile auxilaries.
2.) Two tandoor found at site using LPG as fuel.
3.) One D.G set of 15 KVA found installed with acoustic enclosure & proper stack height.
	Recommended for renewal of consent. Inform to DJB regarding ground water extraction. 
	Issue renewal of consent. Inform to DJB regarding ground water extraction. 
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	1
	33218
	19-03-2010
	THEME EXPORT PVT. LTD
	F-25/1, PHASE-II
	OKHLA INDUSTRIAL AREA
	OPERATE
	Mfg. of readymade garments, Home furnishing & accessories with washing
	Pending
	13.11.2009 (In CTE application)
Issue SCN for closure u/s 33(A) of the Water Act.

21.01.2010 (In CTE application)
Ask the unit to submit Bank Guarantee  of Rs. 1 Lakh each under all the three Acts valid for one year.

26.05.2010 (In CTO application)
Ask the unit to provide acoustic enclosure with the D.G. Set and submit noise monitoring report from approved laboratory of DPCC.

13.08.2010 (In CTE application)
Issued Consent to establish.

27.08.2010 (In CTO application)
Issue reminder.
	1. Comencement:- Oct 2009 (As per application existing unit).
2.Trade effluent-23000 Lt/day, AR of Jan 2010 submitted
3.DG-250 Kva & 125 Kva. 
4.GW-nil

Unit has submitted Bank Guarantees of Rs. 1 Lakh each under Water Act , Air Act & HWM Rules in response to this office letter dt. 23.02.10 on 19.03.10.

Letter was issued to the unit on 12.07.10 regarding installation of acoustic enclosure with D.G.Set & submission of Noise Monitoring Report. The unit has submitted NMR of D.G.Set of 250 KVA on 26.07.10.  

Unit has also submitted NMR of DG set of 125 KVA and SMR of two diesel fired boilers to this office on 07.09.10. Hence, reminder letter not issued. CTE issued to the unit on 30.09.10, as per decision of CMC dt. 13.08.10.

Unit submitted a representation on 21.01.11 & requesting to issue CTO.
	Recommended for grant of consent to operate.
	Issue consent to operate. Inform to DJB regarding existence of borewell.


	S. No.
	Enquiry Counter I.D. No
	Application Date
	Industry Name
	Industry Address
	Industrial Area
	Category
	Activitiy / Product
	Consent Status
	Earlier Committee Decision
	Remarks / Action Taken / ATR
	Recommendations of Scrutinizing Committee on 31.01.2011 / 01.02.2011
	Decision recommended by CMC(Orange) on 07.02.2011

	1
	33351
	29-03-2010
	GENESIS PRINTERS
	C-74, DDA SHED, PHASE-I
	OKHLA INDUSTRIAL AREA
	Orange
	Printing
	Pending
	12.05.10
Issue CTE. Ask the unit to apply for authorization under HWM Rules.
26.05.10
File to be put up administratively.
27.08.10
Ask the unit to submit affidavit regarding not to carry out washing of screen printing moulds. If the unit submits the requisite affidavit consent to operate be issued.
09.11.10 (w.r.t. D-86)
Issue SCN.......file of M/s Genesis Printers, C-74, DDA Shed, Phase-I be put up administratively.
	Applied for CTE on 29.05.09.
CTE and letter issued on 24.06.10.
The file was put up administratively and as decided, inspection of the unit was carried out on 11.08.10. During the inspection it was reported that frame of screen printing are sent to the unit located at D-86, OIA, Phase-I for washing purpose. It was also reported that hazardous waste of this unit is also sent to D-86 unit, however, no waste was found at D-86 unit.
Letter issued on 11.11.10.
Reply along with affidavit recieved on 02.12.10.
The file was put up administratively and it was decided to put up in CMC.
	Since printing activity is being carried out at both the addresses i.e. C-74, & D-86, the unit is required to follow the Hazardous Waste Mangement practices at both the addresses and seek authorization under HWM Rules separately for both places. Unit is claiming that the washing activity is done at D-86 only. Action w.r.t. D-86, is already under process. Issue SCN u/s 5 of the EPA to the unit at C-74, Phase-I, Okhla Industrial Area, Delhi.
	Issue SCN u/s 5 of the EPA to the unit at C-74, Phase-I, Okhla Industrial Area, Delhi.


	S. No.
	Enquiry Counter I.D. No
	Application Date
	Industry Name
	Industry Address
	Industrial Area
	Activitiy / Product
	Earlier Committee Decision
	Remarks / Action Taken / ATR
	Recommendations of Scrutinizing Committee on 31.01.2011 / 01.02.2011
	Decision recommended by CMC(Orange) on 07.02.2011

	2
	29731
	01-05-2009
	GALAXY AUTOMOBILES PVT. LTD.
	5
	RAJASTHAN UDYOG NAGAR INDUSTRIAL AREA
	DENTING, PAINTING, REPAIRING AND SERVICING OF CARS.
	            Decision on 07.05.2010
Issue consent to establish. Subsequently, inspection be conducted. Ask the unit to apply for authorization under HWM Rules.
	Plot Area:2484 sq mt
Year of establishment-sept, 2009
Trade effluent-4.8 KLD
DG set-200 KVA
As per decision dated 07.05.2010, consent issued, inspection done and letter issued on 24.06.2010 for submission of authorizaton application.
Authorization applied on 20.04.2010.
As per approval of Competent Authority on file, SCN u/s 33(A) of the Water Act and SCN u/s 5 of the EPA issued on 23.12.2010
Unit has submitted its reply in response to SCNs.
	Decision taken on file regarding issuance of SCN u/s 33(A) of the Water Act and u/s 5 of the EPA be ratified. Ask the unit to submit Bank Guarantee of Rs. 50,000 each under Water Act and HWM Rules valid for one year. If unit submits the Bank Guarantee, consent to operate and authorization be issued.
	Decision taken on file regarding issuance of SCN u/s 33(A) of the Water Act and u/s 5 of the EPA ratified. Ask the unit to submit Bank Guarantee of Rs. 50,000 each under Water Act and HWM Rules valid for one year. If unit submits the Bank Guarantee, consent to operate and authorization be issued.

	3
	30320
	15-06-2009
	DELHI METRO RAIL CORPORATION
	DELHI HIGH COURT
	NC-ND
	Construction of multilevel parking
	24.06.2009- Ask the unit to submit the details of covered area. If, it is more than 20,000sq.m also ask to submit encvironmental clearance.
05.08.2010 - Ask the unit to submit environmental clearance and to submit an affidavit for date of start of construction & date of completion.
	BUA :  725.81sq mt
EC : NA
Water Consumption :3KLD
Waste Water generation : 
(a) Domestic effluent: 2KLD
(b) Trade effluent: NIL
Total Project Cost : 142 crores
Date of Commissioning: NOV, 2010
2 DG sets of 750KVA installed.
Letter issued to the unit on 15.07.09 and it was decided to ask the unit to submit details of covered area.
Reply received on 24.07.2009.
As per CMC decision dated 05.08.2010, Letter issued on 11.09.2010
No reply received.
However, a letter was received from SEIAA to initiate suitable legal action against the project proponent since the construction has been started prior to environmental clearance.
	Matter be placed before CMC.
	Take opinion from Standing Counsel. 


	S. No.
	ID No
	firm_name
	firm_address
	area_name
	Activity
	Earlier CMC decision
	ATR / Remarks
	Recommendations of Scrutinizing Committee on 31.01.2011 / 01.02.2011
	Decision recommended by CMC(Orange) on 07.02.2011

	4
	_
	Harish chemical &Metal works
	Gali No-8
	Friends Colony Industrial Area
	Dilution of Liquid Sodium Silicate.
	Closure direction has been issued to the unit as decided in the meeting held on 16.02.2009.
	Inspection conducted on 07.01.2011.
a. The activity of the unit is dilution of liquid sodium silicate and trading.
b. The main raw material is thick liquid sodium silicate.
c. Boiler with cyclone was found in defunct & disconnected. No coal was found in the premises.
d. No furnace was found.  
D.G.Set:No.
	As instead of manufacturing of Sodium Silicate it is being brought from outside for dilution and trading hence the process may not be considered under the negative list of MPD-2021 though the unit is running without any consent. Closure directions has already been issued on 16.02.2009, holding the activity of the unit under negative list. The directions are required to be modified. Hence, a SCN u/s 21/22 of the Air Act and u/s 25/26 of the Water Act to the unit be issued. Inform to DJB about the borewell.
	Decision deferred for next meeting.

	5
	_
	Bharat Silicate Works,
	B-38
	Jhilmil Industrial Area
	Dilution of  Sodium Silicate.
	 
	Inspection conducted on 05.01.2011.
a. The activity of the unit is dilution / mixing of hot water in sodium silicate (solid).
b. The main raw material is sodium silicate (solid)/coal/water.
c. The unit has cyclone dust collector.
d. The production of diluted sodium silicate is 7000 kg per day, (As per 5000 ltr volume of 1.4 Sp. Density Gr.
e. Coal fired boiler is found installed with cyclone dust collector. 
f. Fresh stock of coal was found in the premises for boiler use.
g. Occasional vessel washing is also done.  
D.G.Set:No.
	In view of the use of coal fired boiler, issue SCN for closure of the unit. Inform to DJB regarding ground water extraction. 
	Decision deferred for next meeting.

	6
	_
	Hindustan Silicate  & chemical works
	Gali No-7
	Friends Colony Industrial Area
	Dilution of  Sodium Silicate.
	 
	Inspection conducted on 07.01.2011.
a. The activity of the unit is dilution of sodium silicate (crystal) into liquid silicate.
b. The main raw material is sodium silicate in crystal form.
c. The unit has cyclone with coal fired boiler.
d. Fresh stock of coal was also found to be used in boiler.
e. The production of diluted sodium silicate is 7000 kg per day,@ 5000 lt product hav-ing 1.4 Sp.Gr.
f. Occasional vessel washing is also done. 
g. No furnace was found.  
D.G.Set:No.
	Earlier the closure directions were issued considering the activity in negative list of MPD-2021. As the Sodium Silicate is not being manufactured but being brought from outside for dilution and trading, the process may not be considered under the negative list of MPD-2021. In view of the use of coal fired boiler, issue SCN for closure of the unit. 
	Decision deferred for next meeting.

	7
	25259
	V. K Chemical Works 
	Plot No-29, Gali No-6
	Friends Colony Industrial Area
	Dilution of Liquid Sodium Silicate and trading.
	 
	Inspection conducted on 07.01.2011.
a. The activity of the unit is dilution of liquid sodium silicate and trading.
b. The main raw material is liquid sodium silicate.
c. The unit has cyclone with coal fired boiler.
d. Boiler with cyclone was found defunct & disconnected condition. No coal was found in the premises.
e. Dilution with liquid sodium silicate is done without heating. 
D.G.Set:No.
	Status of court case be taken.
	Decision deferred for next meeting.

	8
	34731
04.08.2010
	HIMGIRI CARS PVT. LTD
	PLOT NO-A-9/1
	JHILMIL INDUSTRIAL AREA
	Car washing & Servicing
	30.09.2010
Issue SCN for refusal of consent and SCN 
u/s 33 (A) of the water Act and u/s 5 of EPA for closure of the unit based 
on the finding of inspection.
   Decision recommended by CMC(Orange) on 25.11.2010
Decision regarding issuance of SCN for refual of consent taken on 30.09.2010 reviewed. Consent refused. Seek compliance report from the concerned agencies as closure directions issued. Inspection be conducted based on the compliance report.
	On 30.09.2010 it was decided to issue SCN for refusal of consent and SCN 
u/s 33 (A) of the water Act and u/s 5 of EPA for closure of the unit based 
on the finding of inspection.
however closure direction have already been issued on 01.10.2010 as per 
CMC decision dated 27.08.2010 in CTE case.
Therefore decision of SCN for refusal be reviewed as refusal of CTO.
	Decision for SCN for refusal of consent be reviewed and pursue the implementation of closure directions. 
	Decision for SCN for refusal of consent reviewed and pursue the implementation of closure directions. 


	S. No.
	Enquiry Counter I.D. No
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	1
	32371
	08-01-2010
	ABHAY INTERNATIONAL
	A-42, PHASE-I
	OKHLA INDUSTRIAL AREA
	RENEWAL
	Manufacturing of Glass Art ware
	Pending
	137th
Refer to DJB for ground water extraction.  Ask the unit to clarify as to how the trade effluent is mentioned nil as the process indicates that trade effluent is likely to be discharged.
19.08.10
Inspection be conducted.
	1.Comencement: 2003
2.Trade Effluent: Nil
3.DG: 62.5 Kva, NMR submitted
4: CTO valid from 24.11.03 to 23.11.06
CTR applied 08.12.06
5.CTE granted.

Letter issued. Reply received stating that no trade effluent as we clean the final product by way of wet cloth which evaporates with the friction.

Inspection was conducted by DPCC officials and following were observed:
1. The unit is engaged in the mfg of glass artware with the help of blowing m/c, buffing m/c (adda), sand blasting gun, spray painting gun, grinder etc.
2. Sand blasting is being done in small room and no control measures have been taken to control the dust emmission generated from the process.
3. As reported, if required, spray painting is also carried out in the basement hall.
4. It was observed that for cleaning product are being dipped in plain water tub (approx 30 lt) and then rub with cloth. It was reported that the waste water is reused for cleaning the floors.
5. The unit is not complying with the provisions of HWM Rules.
6. One bore well exists.
	Ask the unit to correct the deficiencies observed during the inspection and submit an affidavit in this regard.
	Ask the unit to correct the deficiencies observed during the inspection and submit an affidavit in this regard.

	2
	31885
	12-11-2009
	DEVYANI INTERNATIONAL LTD.
	S-32, GREEN PARK
	NC-S
	OPERATE
	Resturant
	Pending
	21.12.2009 / 22.12.2009
Ask the unit to submit valid health licence from MCD & eating house licence from Delhi Police.

139th
Issue SCN for refusal of consent.
19.08.10
Inspection be conducted along with personal delivery of the letter. 
	1. G.W= nil
2. trade effluent= 3500 lt/d, adequacy report dt.20.08.09 submitted.
3. D.G set= 125 kva, NMR dt. 26.10.09 submitted.
4. year of commencement= dec 2005
5. CTE pending dt.14.07.08  id. no. 26453.
6. Seating capicity not metioned
7. Layout plan and DDA approval not submitted.

SCN issued for non submission of valid MCD Health licence and Delhi Police license

SCN returned back with a note' No such firm at this number".
Letter was hand delivered to the unit on 20.12.10.
Inspection of the unit was carried out by DPCC officials and following were observed:
1. Unit found in operation, engaged in the activity of restaurant and eating house at S-32, Ist Floor & 2nd Floor.
2. Stack height with DG Set of 125 KVA found inadequate and stack height with channelization is inadequate.
3. ETP found installed and found in operational condition.
4. One more DG Set (45 KVA) was found on roof used by M/s of Sony World (opearting at ground floor) with inadequate stack height.
	Consent be refused and issue SCN for closure of the unit to M/s Devyani.
Issue SCN u/s 21/22 of the Air Act and u/s 25/26 of the Water Act to M/s Sony World.
	Consent refused and issue SCN for closure of the unit to M/s Devyani.
Issue SCN u/s 21/22 of the Air Act and u/s 25/26 of the Water Act to M/s Sony World.

	3
	33225
	19-03-2010
	YAATRI
	B-157, PHASE-I
	OKHLA INDUSTRIAL AREA
	 
	Mfg of Readymade garments with washing
	Pending
	In the case of M/s Pran Printers
12.02.10/15.02.10
Issue SCN u/s 21/22 of the Air Act & 25/26 of the Water Act.
26.05.10
Issue consent to establish. Subsequently, inspection be conducted.
	1. Comencement-Apr 2010
2. Trade effluent-5000 lt/day, ETP proposed
3. DG-Nil
4. CTO not applied
SCN was issued on 25.03.10.
CTE issued on 30.06.10.

Inspection of the unit was carried out by DPCC offcials and following were observed:
1. Unit was found locked during inspection. As informed by other tenant yaarti was found locked for past 1month.
2. Washing facility was exist at terrace but not in operation. Only Drycleanong m/c &hydro m/c was found in operation.
3. M/s JKM Embroidery was engaged in embroidery work in floor having one DG setof 15 KVA without acoustic enclosure.
4. M/s Pran printer was engaged in the activity of printing at ground floor having two DG Set among which DG Set of 15 KVA was found without acoustic enclosure. 
	Reinspection be conducted w.r.t M/s Yaatri. 
Issue SCN u/s 21/22 of the Air Act and u/s 25/26 of the Water Act to M/s  M/s J.K.M Embroidery and SCN u/s 31(A) of the Air Act and u/s 5 of the EPA to M/s Pran Printers.
	Reinspection be conducted w.r.t M/s Yaatri. 
Issue SCN u/s 21/22 of the Air Act and u/s 25/26 of the Water Act to M/s  M/s J.K.M Embroidery and SCN u/s 31(A) of the Air Act and u/s 5 of the EPA to M/s Pran Printers.

	4
	34163
	10-06-2010
	ALBION CONSULTING  PVT. LTD.
	F-90/12,  PHASE-I
	OKHLA INDUSTRIAL AREA
	 
	The Artisan activity hold and Pricious metal like gold smithing, Manufacturing gold, silver, platinum and studded Jewellary.
	Pending
	30.07.10
Inspection be conducted.
	1. Comencement- April 1988
2. Trade effluent- nil.
3. DG- 125 kva
4. GW- nil.
5. CTO not applied.
Inspection carried out by DPCC officials and following were observed:
1. Unit was operational without applying for CTO.
2. Electroplating is done by plating pens.
3. Ultrasonic machine is used to clean the articles.
4. Waste water generated from cleaning and electroplating were discharged into the sewer without any treatment.
5. No ETP has been installed.
6. Dry waste collected through branches & vaccum and then send it to authorized recyclers for refining purpose.
7. One another unit M/s Digital Graphics India Pvt Ltd engaged at ground floor and engaged in the activity of offset printing.
8. M/s  Digital Graphics India Pvt Ltd is having ETP but not in operational condition (applied for CTOR on 29.07.2008).
9. HWM Rules are not followed by both the units.
10. One DG Set of 125 KVA used by both the units having no acoustic enclosure and inadequate stack height.
	Issue SCN u/s 31(A) of the Air Act, u/s 33(A) of the Water Act & u/s 5 of the EPA to M/s Albion Consulting Pvt. Ltd.
Issue SCN u/s 31(A) of the Air Act, u/s 33(A) of the Water Act & u/s 5 of the EPA to M/s Digital Graphics India Pvt. Ltd.
	Issue SCN u/s 31(A) of the Air Act, u/s 33(A) of the Water Act & u/s 5 of the EPA to M/s Albion Consulting Pvt. Ltd.
Issue SCN u/s 31(A) of the Air Act, u/s 33(A) of the Water Act & u/s 5 of the EPA to M/s Digital Graphics India Pvt. Ltd.

	5
	30757
	17-07-2009
	SHAMA INTERNATIONAL PVT. LTD.
	C-119, PHASE-I
	OKHLA INDUSTRIAL AREA
	RENEWAL
	Mfg. of Readymade garments w/o washing
	Pending
	11.10.10
Inspection be conducted for washing and boiler.
	Water Consumption : 1000 lt/d
Waste Water generation : 
(a) Domestic effluent: 400 lt/d
(b) Trade effluent: nil
Date of Commissioning: 1994 
ETP : NA.
STP : No. 
Test Report (Water) within limit : NA.
Test Report (Air) within limit : NA. 
NMR submitted : Yes 
1.D.G.Set: 125 kva, NMR submitted on 17.03.09.
2. G.W: nil
3. HWM:  not applied 
4. CTE not required.
5. CTO valid upto 24.07.05 Consent no. 11572 & CTR valid upto 16.02.09 CNO no. 17209.

Inspection was carried out by DPCC Officials and following were observed:
1. No washing activity was observed in the premises during the inspection.
2. The unit is having one electric boiler for pressing purpose.
3. One diesel fired boiler is also lying at roof top in defunct condition.
4. Adequate stack height and acoustic enclosure have been provided with the DG Set of 125 KVA.
5. Source of water is outside tankers.
	Ask the unit to remove the defunct diesel fired boiler and submit the compliance report on an affidavit.
	Ask the unit to remove the defunct diesel fired boiler and submit the compliance report on an affidavit.

	6
	 
	 
	VIKRAM FARM
	M.G. Road, Sultanpur, Near Metro Station.
New Delhi-30
	NC-S
	Complaint
	Farm house with banquet party lawn
	 
	12.02.2010 / 15.02.2010
Issue directions u/s 31(A) of the Air Act and u/s 33(A) of the Water Act with emergency clause for closure of the unit, cancellation of MCD permission, disconnection of electricity / water supply to the unit and to SDM for taking necessary action for effective closure of the unit and operation of D.G. Set. 

16.06.2010
Random inspection be conducted and the local enquiry be also carried out. 
	Directions of closure were issued to the unit on 07.04.10.

An inspection was carried out by DPCC officials & following observation were made:
1. During the inspection no function was observed in the premises.
2. Electricity connection has been disconnected by BSES which was for domestic purpose.
3. As reported only family functions are organised in the premises which was confirmed by the chaukidar of adjacent farm house i.e. Bansal Farm House.
	Confirm from the MCD whether the premises is being used for commercial use.
	Confirm from the MCD whether the premises is being used for commercial use and also the status of the licences issued to the unit for permitting the unit for commercial use.

	7
	34764
	06-08-2010
	ALISHA ENTERPRISES PVT. LTD. (A UNIT OF THE VILLAGE BISTRO)
	12, HAUZ KHAS VILLAGE NEAR DEER PARK
	NC-S
	Establish
	Restaurant
	Pending
	06.09.10
Issue consent to establish. Subsequently, inspection be conducted.
	1. Date of commissioning-16 Sept
2. Trade effluent- 1.5 kld mention on application form but not shown in affidavit.
3. Ground water-Nil
4. D.G.Set- 380 KVA & 200 KVA.
5. CTO valid upto 01.08.05 & CTR applied on 18.12.06 vd id no. 20218.

CTE issued to the unit on 21.10.2010.
Inspection was carried out by DPCC officials and following were observed:
1. Unit was found closed during inspection, only watchman was available at site.
2. ETP was found installed but yet to be commissioned.
3. As informed by watchman, unit was not operational.
	Re-inspection be conducted.
	Re-inspection be conducted.

	8
	23681
	27-09-2007
	PASHUPATI MOTORS
	A-2, DDA SHED, PHASE-I
	OKHLA INDUSTRIAL AREA
	Establish
	Workshop cum service station of two wheelers
	CTE ISSUED
	20.10.09
Issue Consent to Establish. Subsequently, inspection by Trainee, CMC be conducted. 
21.12.2009/22.12.2009
 Issue closure direction.
13.08.2010
Ask the unit to submit bank guarantee of Rs. One lakh each under Water Act & HWM Rules.valid for one year                                                                                                                                   
	CTE issued on 26.11.09.
Inspection conducted by DPCC Officials on 12.11.09 and following were observed:
1.Unit found operational.
2. ETP was installed but not found in working condition.
3.CTO not applied
4.Washing activity found and waste water goes directly into sewer.
5.Hazardous waste was not stored as per HWM rules.
Closure directions u/s 33 (A) of the water Act and u/s 5 of EPA were issued to the unit on 02.02.10.
No complaince received from concerned Authority. However unit has submitted a reply on 22.02.10 along with copy of adequacy report.
Letter issued to the unit asking for BG on 21.09.10.
File was put up administratively and as approved, letter dated 27.10.10 was issued at the residential address.
Inspection was carried out by DPCC officials and following were observed:
1. The unit was found lockedfrom outside.
2. As per the local enquiry, the unit has been closed & shifted to some other place.
	Seek compliance report from the concerned agencies.
	Seek compliance report from the concerned agencies.

	9
	28786
	27-01-2009
	MEHANDRU AUTOMOBILES
	T-16, PHASE-II
	OKHLA INDUSTRIAL AREA
	Establish
	work shop cum service station of two wheelers
	Pending
	07.05.2010 
 Seek compliance report from concerned authorities.
13.08.10
Re-inspection be conducted to know the operational status of the unit through pasting the letter.
	1. Comencement: After getting NOC
2.Trade effluent-3000 lt/day, ETP proposed
3.DG-nil
4.GW-nil as per application but shown as 4000 lt/day in affidavit.
5. CTO not applied
6.HWM applied
Closure directions issued to the unit already as per CMC decision dated 21.12.2009/22/12.2009 while considering the case of unit located at shed no 29, DSIDC, Phase-II, Okhla Industrial Area.
No complaince received from concerned Authority. However letter from the unit returned back.
Inspection carried out by DPCC officials and following were observed:
1. Unit found closed and removed plant and machinery from the premises.
2. Premises is being used as a godown for wooden and no industrial activity was observed.
3. As reported, power supply of premises has been disconnected.
	Seek compliance report from the concerned agencies.
	Seek compliance report from the concerned agencies.

	10
	30015
	22-05-2009
	21ST CENTURY BUSINESS COMMUNITY
	A-58/1, PHASE-II
	OKHLA INDUSTRIAL AREA
	Establish
	hotels & restaurant service for 50 room & 50 seats restaurant.
	Issued
	141st
Issue consent to establish. Subsequently, inspection be conducted.
27.08.10
Re-inspection be codnucted after three months.
	1. Comencement: oct 2009.
2.Trade effluent-3000 lt/day. STP proposed.
3.DG-62.5 Kva.
4.GW-nil.
5.CTO not applied.

CTE issued on 24.06.10.
Inspection carried out by DPCC officials on 06.07.10 and following were observed:
1. No industrial activity found observed during inspection.
2. As informed building to be renoavate within two months.

Inspection carried out by DPCC officials and following were observed:
1. No industrial activity found observed during inspection.
2. As informed building is yet to be renoavated.
	No action.
	No action.
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	11
	31415
	11-09-2009
	V K ENGINEERING WORKS
	10/63 C
	KIRTI NAGAR INDUSTRIAL AREA
	Assembly of road roller and road machine
	Decision on 16.04.2010
Issue consent to establish
Decision on 19.08.2010
Issue renewal of consent. Subsequently, inspection be conducted to know the forging activity.
	Applied for CTO on 04.09.06
CTO_R Issued valid upto 10.09.2012 vide consent order no 25603 
CTE issued valid upto 12.05.2011.
Plot area: 100 sqm.
D. G. Set: nil
Trade effluent: nil
GW: nil
	Inspection conducted on 16.12.2010
during the inspection following were
observed:
1.) Unit found non-operational for the activity of assembling of road roller & road machines but engaged in the activity of mfg. of furniture.
2.) At ground floor, one road roller found which kept for stock. At first floor, office and at 2nd and 3rd floor mfg. of furniture activity is carried out without machinery.
3.) Mfg. of wooden urniture with PU pasting and silver leafing is carried out.
4.) One D.G Set of 20 KVA found in defunt condition.
	Issue SCN for revocation of consent.
	Issue SCN for revocation of consent.

	12
	33760
	05-05-2010
	PATHICK ENGINEERING WORKS
	A-44, PHASE-I
	MAYAPURI INDUSTRIAL AREA
	Mfg. of Elastic Rail Clips
	Decision on 26.07.2010
Inspection be conducted
Decision on 09.11.2010.
Reinspection be conducted by AEE.
	Issued CTO & CTR on 12.04.2007
Applied for CTR on 11.04.07
Trade efflluent: niil
D.G.Set: 62.5 KVA.  NMR submitted on 16.04.2010.
Stack atttached to boiler SMR submittted dataed  19.04.2010
	Inspection conducted on 17.01.2011. 
During the inspection the quenched oil residue/sludge is generated once in six month. The quenched oil is purchased from the manufacture of quenched oil as a trade name without contents of salt/chemicals.
	Ask the unit to apply for authorization under HWM Rules.
	Ask the unit to apply for authorization under HWM Rules.

	13
	34484
	12-07-2010
	7 STAR BANQUETS
	20, RAMA ROD
	NAJAFGARH ROAD INDUSTRIAL AREA
	Banquet hall
	Decision on 23.12.2008
Revoke closure order. Ask the unit to file BG of Rs. 50,000 each under threee acts, if it does so, consent to establish will be granted. Call on 28.01.2009
Decision on 28.01.2009
Issue final remider for BG. Call on 12.03.2009
Decision  on 23.04.2009
Issue consent to operate. Call on 03.06.2009
Decision on 30.09.2010
Inspection be conducted. Also ask the unit to submit valid Delhi Police and MCD licence. 
	Earlier CTO issued valid upto 12.07.2010
CTE issued valid upto 30.03.2010
Plot area:  886 sqm
D.G> Set: 200 KVA, 2X125 KVA installed , NMR submitted dated 02.07.2010
Trade eff: 1.5 KLD,Analysis report of water effluent submitted dated 12.07.2010 & adeqacy report  of ETPsubmitted dated 31.10.2008
GW: nil
	Inspection was carriedout on 4.1.2011. During the inspection following were observed:
1.)Unit has installed ETP & in operational state,with phisico-chemical treatment systems.
2.) 3 nos.of LPG bhatti sets found fitted with hood and stack beyond roof top approx. 3 m. 
3.) D.G. Sets (2x125 KVA, 1X200 KVA) were found placed at roof top in accoustic enclosure and adequate stack.
4.) 2 bore wel exist.
5.) Copy of recipt of MCD licence/conversion fee provided. 


Another unit M/s Ashoka & Co. Pan Bahar Ltd. was also found engaged in mfg. of Pan Masala, during the inspection following were observed: 
1.) Dust emission observed during grinding & mixing of beetal nuts. Dust collectors are to be installed. Huge dust emissions observed in workplace at each floors. 
2.) D.G. Set of 125 KVA (2nos) have been installed.
3.) 2 nos of oil fired roasting furnance/oven have been installed, the stack attached is only 2-3' beyong roof. The same are hided in CTO application at 03.06.2009.
	Ask the unit to submit valid MCD and Delhi Police Licence. Issue SCN u/s 31(A)  of the Air Act for closure of the unit to M/s Ashoka & Co.
	Ask the unit to submit valid MCD and Delhi Police Licence within 30 days. Issue SCN u/s 31(A)  of the Air Act for closure of the unit to M/s Ashoka & Co.


