Minutes of the 167th meeting of the Committee Constituted for Deciding the Consent under Orange Category, held on 07.09.2011 in the Conference Room of Chairman, DPCC.

   The following persons attended the meeting:

Sh. Keshav Chandra, Chairman, DPCC

Dr. A.K.Ambasht, Member Secretary, DPCC

Prof. S. K. Gupta, IIT-Delhi 

Sh. M. Dwarakanth, SSO, Dept. of Env., GNCTD. 

Sh. B. Kumar, Addl. Director, DPCC. 
SEEs of CMC –  I, II, III & IV.


EEs of CMC – I, II, III & IV.


Following are the minutes of the meeting:- 

Agenda Item No. 1- Fresh Consent to Operate cases under Orange category  w.e.f. 01.04.2011 excluding the cases of  redevelopment areas, considered by Scrutinizing Committee on 31.05.2011(73 cases). 

Decisions recommended with respect to this agenda are tabulated and annexed as Annexure – 1. 

Agenda Item No. 2-  Fresh Consent to Establish cases under Orange category  w.e.f. 01.05.2011 excluding the cases of  redevelopment areas, considered by Scrutinizing Committee on 18.08.2011(65 cases).

This agenda could not be taken up by the Committee, due to paucity of time, and it was decided to take up the same in the next meeting.

Agenda Item No. 3-  Fresh Consent to Operate cases under Orange category  w.e.f. 01.05.2011 excluding the cases of  redevelopment areas, considered by Scrutinizing Committee on 18.08.2011(117 cases). 

This agenda could not be taken up by the Committee, due to paucity of time, and it was decided to take up the same in the next meeting.

Agenda Item No. 4- Cases processed administratively for putting up in CMC, considered by Scrutinizing Committee on 18.08.2011(39 cases).

This agenda could not be taken up by the Committee, due to paucity of time, and it was decided to take up the same in the next meeting.

Table Agenda Item No 1:- M/s Aggarwal Plastic, Plot No 82, Pocket-B, Sector-1, DSIDC, Bawana Indl. Area, Delhi. 

Issue consent to establish for the activity of Mfg. of PVC Dana. 
Meeting ended with thanks to the chair.
	S. No.
	I.D. No
	appl_dt
	Industry Name
	Industry Address
	Industrial Area
	Category
	Activitiy / Product
	Consent Status
	Earlier Committee Decision
	Remarks / Action Taken / ATR
	Recommendations of Scrutinizing Committee on 31.05.2011
	Decision recommended by CMC(Orange) on 07.09.2011

	1
	36815
	01-04-2011
	KWALITY PLASTICS
	A-75/1
	WAZIRPUR INDUSTRIAL AREA
	RENEWAL
	Mfg. of PVC Footwear & Assembling of Electrical Appliances.
	CTO (Y) issued on 24.10.2005 and vlaid upto 28.03.2008 Vide C.No.13260.
CTR (P) applied on 01.04.2008 Vide Id.No.25365.
	 
	1.Date of Commencement: 2004
2.Trade effluent: Nil 
3. G.W:Nil
4. D.G.Set: Nil
	Recommended for grant of renewal of consent. 
	Issue renewal of consent. 

	2
	36818
	01-04-2011
	CHIRAG WIRE & CABLE INDUSTRIES
	WH-57, PHASE-I
	MAYAPURI INDUSTRIAL AREA
	RENEWAL
	Copper wire & drawing and auto electric cable
	Applied for CTO_R on 04.07.2006 vide ID no 18683.
Applied for fresh authorisation under HWM rules on 01.04.2011 vide ID no 0714.
	 
	Plot area: 148 sqm.
Year of ommencement:  1986
Trade effluent: nil
D.G. nil
GW: 0.4 KLD
	Recommended for grant of renewal of consent and authorization under HWM Rules. Inform to DJB regarding ground water extraction. 
	Ask the unit to apply for consent to establish. Inform to DJB regarding ground water extraction. 

	3
	36822
	04-04-2011
	SHRI SHYAM POWDER COATING
	G-45, BASEMENT
	LAWRENCE ROAD INDUSTRIAL AREA
	OPERATE
	Job Work of Powder coating.
	CTE (Y) issued on 18.01.2011 and valid upto 17.01.2012 Vide C.No.26514.
	25.11.2010
Issue consent to establish.
	1.Date of Commencement:September,2010 
2.Trade effluent:Nil
3. G.W:Nil
4. D.G.Set: Nil
	Recommended for grant of consent to operate. 
	Issue consent to operate. 

	4
	36823
	05-04-2011
	AUTO LIFE RUBBER INDUSTRIES
	T-2/165, PHASE-I
	MANGOL PURI INDUSTRIAL AREA
	RENEWAL
	Mfg. Auto Moble Components (Rubber).
	CTR (Y) issued on 30.07.2004 and valid upto 30.06.2007 Vide C.No.11139.
CTR (P) applied on 06.09.2007 Vide Id.No.23411.
	 
	1.Date of Commencement: 1996
2.Trade effluent:Nil
3. G.W:200 Ltr/d
4. D.G.Set: Nil
	Ask the unit to provide channelization system for its fugitive emissions through a stack havign height of atleast 12 meter or 2 meter above roof top of the shed/building whichever is more and to submit the stack monitoring report to substantiate that emissions are within the prescribed limit of 150 mg/nm3 for Particualte Matter and 50 mg/Nm3 for Volatile Organic Compounds as notified vide notification dated 18.03.2011. Inform to DJB regarding ground water extraction. 
	Inspection be conducted. Inform to DJB regarding ground water extraction. 

	5
	36824
	05-04-2011
	JAIN INDUSTRIAL LIGHTING CORP
	B-70/22, DSIDC
	LAWRENCE ROAD INDUSTRIAL AREA
	OPERATE
	Electrical/ Solar/ LED Light Fittings, CFL Lamps.
	CTR (Y) issued on 04.11.2010 and valid upto 29.062010 Vide C.No.26046.
CTE (P) applied on 27.08.2010 Vide Id.No.34941.
CTE (P) applied on 24.12.2010 Vide Id.No.36055.
	16.03.2011
File be put up administratively.
	1.Date of Commencement: Jan,2011
2.Trade effluent: NIL
3. G.W: NIL
4. D.G.Set: NIL
	Ask the unit to submit stack monitoring report for the channelization system of the process emissions, bank guarantee of Rs. 50,000 under Air Act valid for one year and application for authorization under HWM Rules in view of use of spray paint indicated in the record. 
	Ask the unit to submit stack monitoring report for the channelization system of the process emissions, bank guarantee of Rs. 50,000 under Air Act valid for one year and application for authorization under HWM Rules in view of use of spray paint indicated in the record. Also ask the unit to submit information w.r.t steps taken for safe management and handling of mercury / mercury waste. 

	6
	36826
	05-04-2011
	RAJ AUTO INDUSTRY
	B-45, SHED NO 6
	JHILMIL INDUSTRIAL AREA
	OPERATE
	Mfg. of plastic Auto parts by injection moulding M/C.
	CTE: Applied on 05.04.2009.
	 
	BUA:90 SQ Mts.
Water Consumption :120 Lts/Day. 
GW:Nil.
Waste Water generation : 
(a) Domestic effluent:50  Lt/Day
(b) Trade effluent:Nil  Lt/Day
Date of Commissioning:July 2010.
D.G.SET: Nil KVA.
NMR submitted :N/A.


	If unit complies with the decision taken on CTE regarding submission of bank guarantee of Rs. 50,000 etc., consent to operate be issued. 
	If unit complies with the decision taken on CTE regarding submission of bank guarantee of Rs. 50,000 etc., consent to operate be issued. 

	7
	36828
	05-04-2011
	HARI KISHAN AUTO INDUSTRY
	B-45, SHED NO 4
	JHILMIL INDUSTRIAL AREA
	OPERATE
	Mfg. of plastic Auto parts by injection moulding M/C.
	CTE: Applied on 05.04.2009.
	 
	BUA:90 SQ Mts.
Water Consumption :120 Lts/Day. 
GW:Nil.
Waste Water generation : 
(a) Domestic effluent:50  Lt/Day
(b) Trade effluent:Nil  Lt/Day
Date of Commissioning:July 2010.
D.G.SET: Nil KVA.
NMR submitted :N/A.


	If unit complies with the decision taken on CTE regarding submission of bank guarantee of Rs. 50,000 etc., consent to operate be issued. 
	If unit complies with the decision taken on CTE regarding submission of bank guarantee of Rs. 50,000 etc., consent to operate be issued. 

	8
	36829
	05-04-2011
	SALVE PHARMACEUTICALS PVT. LTD.
	B-34
	LAWRENCE ROAD INDUSTRIAL AREA
	OPERATE
	Mfg. of Pharmaceuticals Formulation (Gel, Solution, Cream & Ointment)
	CTE (Y) issued on 05.07.2010 and valid upton 04.07.2011 Vide C.No.24718.
	 
	1.Date of Commencement: 2010
2.Trade effluent: 400 lt/week, 
3. G.W:Nil
4. D.G.Set: Nil
Closure directions u/s 31(A) of the Air Act and u/s 33(A) of the Water Act issued. 
	Ask the unit to submit the bank guarantee of Rs. One Lakh each under Water Act and HWM Rules valid for one year and the reasons for operating the unit despite closure directions from DPCC
	Ask the unit to submit the bank guarantee of Rs. One Lakh each under Water Act and HWM Rules valid for one year and the reasons for operating the unit despite closure directions from DPCC

	9
	36830
	05-04-2011
	MARKETING TIME AUTOMOBILES PVT. LTD.
	18, PHASE-III
	OKHLA INDUSTRIAL ESTATE
	OPERATE
	Car services
	Pending
	 
	CTE : issued on 30.11.04  
Water Consumption : 9.0 Kld
Waste Water generation :  
(a) Domestic effluent:  0.5 Kld
(b) Trade effluent:  6.5 Kld on application form & 7.0 Kld on affidavit
Date of Commissioning: 2005
ETP / STP:  ETP
Test Report (Water) within limit: yes
Test Report (Air) within limit:  N/a
NMR submitted:  submitted dated 31.3.11
G W: 9.0 Kld
D G set: 125 KVA
Adequacy report submitted dated November 2010 & test report submiteed dated 31.03.11
CTE issued on 30.11.04 vd ID 12227.
Authorization under HWM Rule applied on 05.04.11 vd ID 0720.
	Recommended for grant of consent to operate and authorization under HWM Rules. Inform to DJB regarding ground water extraction. 
	Issue consent to operate and authorization under HWM Rules. Inform to DJB regarding ground water extraction. 

	10
	36832
	05-04-2011
	SHRI INDUSTRIES
	B-78, PHASE-II
	MAYAPURI INDUSTRIAL AREA
	RENEWAL
	Mfg. of bare copper wire
	Earlier CTO & CTO_R issued valid upto 29.05.2008
Applied for renewal of authorisation under HWM rules on 01.04.2011 vide ID no 0715
	 
	Plot area: 167 sqm.
Year of ommencement:  1997
Trade effluent: nil
D.G.62.5 KVA, NMR submitted dated 11.03.2011
GW: 0.725 KLD
	Recommended for grant of renewal of consent and authorization under HWM Rules. Inform to DJB regarding ground water extraction. 
	Issue renewal of consent and authorization under HWM Rules. Inform to DJB regarding ground water extraction. 

	11
	36834
	05-04-2011
	TEJ ENTERPRISES
	PLOT NO L-65, SECTOR-2, DSIDC
	BAWANA INDUSTRIAL AREA
	OPERATE
	Mfg. of plastic moulded goods
	 
	 
	BUA:  60 Sq m
Water consumption: 500 lpd
Domestic discharge:300 lpd
Trade discharge:Nil
Date of commisioning:SEP 2009
DG Set:NIL 
NMR: N/A
	Recommended for grant of consent to operate. 
	Issue consent to operate. 

	12
	36835
	06-04-2011
	DEUTSCHE MOTOREN (PVT) LTD.
	H-5/B-1
	MOHAN CO-OPERATIVE INDUSTRIAL AREA
	OPERATE
	Service, repair, and maintenance of cars
	Pending
	 
	CTE :  issued on 10.11.06
Water Consumption :  5500 Lt/d
Waste Water generation :  
(a) Domestic effluent:  400 Lt/d
(b) Trade effluent:  5000 Lt/d
Date of Commissioning: 2008
ETP / STP:  ETP
Test Report (Water) within limit: yes
Test Report (Air) within limit: 
NMR submitted:  submitted dated 29.03.11
G W: 5000 Lt/d
D G set: 320 KVA on application form & 125 KVA on affidavit.
NMR of 320KVA submitted dated 29.03.11
Adequacy report submitted dated March 2008 & test report submiteed dated 04.03.11

CTE issued on 10.11.06 vd CNO 17496.
CTE cancelled on 13.11.09 vd cancellation no. 344.
CTO applied on 09.04.08 vd ID 25444
Authorization under HWM Rule applied on 06.04.11 vd ID 0721.
	Inspection be conducted to check the paint booth.
	Inspection be conducted.

	13
	36839
	06-04-2011
	MOTOR CENTRE
	MALL ROAD, OPP. ALPNA CINEMA, MODEL TOWN
	NC-NW
	RENEWAL
	servicing of Automobiles.
	CTE Not Applied.
	 
	1.Date of Commencement:Feb,2008 
2.Trade effluent:2 Kilo ltr/d
3. G.W: 2.3 Kilo lt/d
4. D.G.Set: 1X62.5 KVA
	Recommended for grant of renewal of consent. 
	Applied for authorization under HWM Rules on 21.07.2010 as informed by CMC officials. Issue renewal of consent and authorization under HWM Rules. Inform to DJB regarding ground water extraction. 

	14
	36844
	07-04-2011
	KOHLI GRAVURE
	F-58, PHASE-II
	MAYAPURI INDUSTRIAL AREA
	OPERATE
	Mfg. of rotogravure printing cylinder and emboss roller.
	Applied for CTE on 06.01.2011 vide application no 36163.
Applied for fresh authorization under HWM rules on 07.04.2011 vide ID no 0723.
	Decision on 31.03.2011
Issue consent to establish. Susquently, inspection be conducted.
	Plot area: 83.60 sqm.
Year of ommencement:  2011
Trade effluent: 400 LPD, Adequacy report submitted dated FEB, 2011.
D.G. nil
GW: nil
Compliant received of this unit on 11.05.2011
	Inspection be conducted. 
	Suitable letter may be put up administratively addressed to MCD, DDA, COI with a copy to complainant. 

	15
	36845
	07-04-2011
	ANJANEYA COLD STORAGE LIMITED
	B-35
	LAWRENCE ROAD INDUSTRIAL AREA
	RENEWAL
	Meat Processing Unit.
	CTO (Y) issued on 22.07.2003 and vlaid upto 25.07.2005 Vide C.No.6785.
CTR (Y) applied on 13.08.2009 Vide Id.No.21179.
	 
	1.Date of Commencement: 1984
2.Trade effluent: 73 Kilo lt/d, 
3. G.W:Nil
4. D.G.Set: 2X500 KVA
	Recommended for grant of renewal of consent. 
	Inspection be conducted.

	16
	36846
	08-04-2011
	BAT BRO ENGG. & GENERAL MANUFACTURERS
	SHED NO 7, PHASE-I
	BADLI INDUSTRIAL ESTATE
	RENEWAL
	Cold re- rolling of S.S. Sheets.
	CTE (Y) issued on 16.03.2010 and valid upto 15.03.2011 Vide C.No.23211.
	 
	1.Date of Commencement:1989 
2.Trade effluent:Nil
3. G.W: Nil
4. D.G.Set: Nil
	Recommended for grant of renewal of consent. 
	Issue renewal of consent. 

	17
	36852
	11-04-2011
	SYSTEM GRAPHICS INDIA PVT. LTD.
	B-72
	NARAINA INDUSTRIAL AREA PH-II
	OPERATE
	printing plate & color seprated positive (film) and desktop publishing.
	CTE issued valid upto 28.06.2011
CTO refused on 31.01.2011 under green category.
Applied for fresh authorisation under HWM rules on 29.12.2010.
	Decision on 26.05.2010
Issue consent to establish. Subsequently, inspection be conducted.
Decision on 09.11.2010
Issue SCN u/s 33(A) of the Water Act and u/s 5 of the EPA. 
Decision of Scrutinizing Committee on 11.03.2011
Ask the unit to submit bank guarantee of Rs. 50,000 each under Water Act and HWM Rules valid for one year. Also ask the unit to submit adequacy report from empanelled consultant of DPCC and apply for consent to operate. 
	Plot area: 501sqm.
Year of ommencement:  2010
Trade effluent: 0.05 KLD, Adequacy report submitted dated 16.03.2011.
D.G. nil
GW: nil
	File has been put up administratively in compliance of CMC(Orange)'s decisioin dated 31.03.2011.
	Unit has submitted bank guarantee and applied for consent to operate along with adequacy report as informed by CMC officials. Issue consent to operate and authorization under HWM Rules. 

	18
	36855
	11-04-2011
	ADVANCE PRINT MEDIA PVT. LTD.
	18, FIE
	PATPARGANJ INDUSTRIAL AREA
	OPERATE
	Offset Printing Job.
	CTE: No.
	 
	BUA:270 SQ Mts.
Water Consumption :300 Lts/Day. 
GW:Nil.
Waste Water generation : 
(a) Domestic effluent:200  Lt/Day
(b) Trade effluent:Nil  Lt/Day
Date of Commissioning:2002.. 
D.G.SET: 125 KVA.
NMR submitted :Yes,15.10.2010.


	Recommended for grant of consent to operate and authorization under HWM Rules. 
	Issue consent to operate and authorization under HWM Rules. 

	19
	36856
	11-04-2011
	J.P. INDUSTRIES
	SHED NO 8, BLOCK-A
	JHILMIL INDUSTRIAL AREA
	RENEWAL
	Copper wire drawing & super enamelling.
	CTR: Applied on 17.10.2006.
	 
	BUA:135 SQ Mts.
Water Consumption :200 Lts/Day. 
GW:Nil.
Waste Water generation : 
(a) Domestic effluent:150  Lt/Day
(b) Trade effluent:Nil  Lt/Day
Date of Commissioning:2003. 
D.G.SET: 125 KVA.
NMR submitted :Yes,15.10.2010.
SMR: Yes, 26.02.2011.

	Recommended for grant of renewal of consent and authorization under HWM Rules. 
	Issue renewal of consent and authorization under HWM Rules. 

	20
	36857
	11-04-2011
	K.M. UDYOG
	PLOT NO 1/536/B-9, GALI NO 5
	FRIENDS COLONY INDUSTRIAL AREA
	OPERATE
	Mfg. of Sanitary fitting.
	CTE applied on 16.04.2009.
	 
	BUA:  38 SQ Mts.
Water Consumption :200  Lts/Day. 
GW:Nil.
Waste Water generation : 
(a) Domestic effluent:150  Lt/Day
(b) Trade effluent:Nil  Lt/Day
Date of Commissioning:Oct 2008. 
D.G.SET: Nil KVA.
NMR submitted :N/A.

	Ask the unit to explain why the unit operated when closure directions were imposed. 
	Ask the unit to submit bank guarantee of Rs. One Lakh under Air Act valid for one year. If unit submits the bank guarantee, closure directions be revoked and consent to operate be issued. Subsequently, inspection be conducted. 

	21
	36858
	11-04-2011
	HONDA MOTORCYCLE & SCOOTER INDIA PVT. LTD.
	C-126
	NARAINA INDUSTRIAL AREA PH-I
	OPERATE
	Servicing and washing of two wheelers
	CTE issued valid upto 09.06.2011
Applied for fresh authorization under HWM rules on 05.01.2011 vide ID no 0616
	Decision on 07.05.2010
Issue consent to operate. Subsquently, Inspection be conducted
Decision on 09.11.2010
Issue SCN u/s 21/22 of the Air Act and u/s 25/26 of the Water Act for not obtaining consent to operate. Ask the unit to apply for fresh authorization under HWM Rules.
	Plot area: 212 sqm.
Year of ommencement: May, 2010
Trade effluent: 1000 litres per month, Adequacy report and effluent analysis report submitted dated 20.01.2011.
D.G. Set: 30 KVA, NMR submitted dated 06.01.2011
GW: nil
	Recommended for grant of consent to operate and authorization under HWM Rules. 
	Issue consent to operate and authorization under HWM Rules. 

	22
	36860
	11-04-2011
	PI SQUARE CABLES (P) LTD.
	PLTO NO 19, POCKET-E, SECTOR-2, DSIDC
	BAWANA INDUSTRIAL AREA
	OPERATE
	Mfg. of PVC and XLPE wires and cables.
	 
	 
	BUA:  312.5 Sq m
Wate consumption: 100 lpd
Domestic discharge:100 lpd
Trade discharge:Nil
Date of commisioning: 2009
DG Set:62 .5 KVA 
NMR: Yes (07.02.2011)
	Recommended for grant of consent to operate. 
	Issue consent to operate. 

	23
	36861
	11-04-2011
	GUARDIAN CABLES & CONDUCTORS PVT. LTD.
	C-408-409, DSIDC
	NARELA INDUSTRIAL AREA
	OPERATE
	Mfg. of PVC/XLPE wire & Cable.
	CTO (P) applied on 27.08.2007 Vide Id.No.23296.
CTE (Y) issued on 02.06.2010 and valid upto 01.06.2011 Vide C.No.23859.
	 
	1.Date of Commencement: 2006
2.Trade effluent:Nil
3. G.W: Nil
4. D.G.Set:Nil 
	Recommended for grant of consent to operate. 
	Issue consent to operate. 

	24
	36862
	11-04-2011
	STANDARD AGRO ENGINEERING CO.
	A-99/6
	WAZIRPUR INDUSTRIAL AREA
	RENEWAL
	Mfg. of Plastic Injection Moulded Goods.
	CTE Not Applied.
CTO (Y) issued on 14.10.2003 and valid upto 13.08.2005 Vide C.No.8249.
CTR (Y) issued on 22.06.2006 and valid upto 07.06.2009 Vide C.No.15889.
	 
	1.Date of Commencement: 1997
2.Trade effluent:Nil
3. G.W: Nil
4. D.G.Set: Nil
	Recommended for grant of renewal of consent for the activity without mfg. of plastic carry bags. 
	Issue renewal of consent for the activity without mfg. of plastic carry bags. 

	25
	36864
	11-04-2011
	G.R. TRADING CO.
	A-3, GROUP
	WAZIRPUR INDUSTRIAL AREA
	OPERATE
	Mfg. of Pressure Cooker with buffing.
	CTE (Y) issued on 18.01.2011 and valid upto 17.01.2012 Vide C.No.26520.
	25.11.2010
Issue consent to establish. Ispection is not required as inspection has already be done.
	1.Date of Commencement: Jan,2010
2.Trade effluent: Nil
3. G.W: Nil
4. D.G.Set: Nil 
	Recommended for grant of consent to operate. 
	Issue consent to operate. 

	26
	36866
	11-04-2011
	ASIAN CUTLERY
	M-20, PHASE-I
	BADLI INDUSTRIAL ESTATE
	OPERATE
	Mfg. of Stainless Steel Cutlery with Buffing/ Polishing.
	CTE (Y) issued on 02.06.2010 and valid upto 01.06.2011 Vide C.No.23876.
	09.11.2010
After scritinty recommdatio, requst has been received on 18.10.210 for revocaton of closure and confirmation of rectification of deficienide on affidavit. Ask bg of rs. 1 lakh under air act. If unit submits bg then closure direction be revoked. 
	1.Date of Commencement:April, 2009
2.Trade effluent:Nil
3. G.W:Nil
4. D.G.Set: Nil

Letter was sent on 16.11.2010.
Bank Guarantee was received on 24.11.2010
	Recommended for grant of consent to operate. 
	Issue consent to opeate. After issuance of consent, inspection be conducted. 

	27
	36867
	11-04-2011
	MITUL INDUSTRIES
	A-113/2
	WAZIRPUR INDUSTRIAL AREA
	OPERATE
	Annealing of S.S. Sheets.
	CTE (Y) issued on 04.12.2009 and valid upto 03.12.2010 Vide C.No.22205.
	20.10.2009
Issue consent to establish.
	1.Date of Commencement: Jan,2008
2.Trade effluent:Nil
3. G.W: Nil
4. D.G.Set: Nil
	Ask the unit to submit the attested copy of CETP membership proof. 
	Ask the unit to submit the attested copy of CETP membership proof. 

	28
	36868
	11-04-2011
	AHUJA TYRES PVT. LTD.
	A-14
	WAZIRPUR INDUSTRIAL AREA
	RENEWAL
	Vulcanizing/ manufacturing of Rubeer Parts.
	CTR (Y) issued on 12.09.2006 and valid upto 27.03.2008 Vide C.No.16788.
CTR (P) applied on 22.04.2008 Vide Id.No.25544.
	 
	1.Date of Commencement:1975 
2.Trade effluent: Nil
3. G.W:Nil
4. D.G.Set: Nil
	Ask the unit to provide channelization system for its fugitive emissions through a stack havign height of atleast 12 meter or 2 meter above roof top of the shed/building whichever is more and to submit the stack monitoring report to substantiate that emissions are within the prescribed limit of 150 mg/nm3 for Particualte Matter and 50 mg/Nm3 for Volatile Organic Compounds as notified vide notification dated 18.03.2011. 
	Inspection be conducted. 

	29
	36873
	13-04-2011
	MAXWELL INTERNATIONAL
	T-2/162, PHASE-I
	MANGOL PURI INDUSTRIAL AREA
	OPERATE
	Mfg. of Footwear (By Pasting of Upper & Soles)
	CTE (Y) issued on 18.06.2010 and valid upto 17.06.2011 Vide C.No.24457.
CTE (P) applied on 13.04.2011 Vide Id.No.36872.
	 
	1.Date of Commencement: 2010
2.Trade effluent:Nil
3. G.W:Nil
4. D.G.Set: Nil
	Recommended for grant of consent to operate. 
	Issue consent to operate. 

	30
	36879
	13-04-2011
	S.PLASTIC WORKS
	G-97, SECTOR-5, DSIDC
	BAWANA INDUSTRIAL AREA
	OPERATE
	Mfg. of plastic product.
	 
	 
	BUA:  60 Sq m
Wate consumption: 200 lpd
Domestic discharge:150 lpd
Trade discharge:Nil
Date of commisioning: 2011
DG Set:NIL
NMR: N/A
	Recommended for grant of consent to operate. 
	Issue consent to operate. 

	31
	36880
	13-04-2011
	SHANTI INDUSTRIES
	F-1718, DSIDC
	NARELA INDUSTRIAL AREA
	RENEWAL
	Mfg. of PVC and EVA Footwear.
	CTE (Y) issued on 16.10.2003 and valid upto 28.09.2004 Vide C.No.8291.
CTO (Y) issued on 24.10.2005 and valid upto 08.02.2008 Vide C.No.13233.
CTR (P) applied on 14.02.2008 Vide Id.No.24936.
	 
	1.Date of Commencement: 2004
2.Trade effluent:Nil
3. G.W:Nil
4. D.G.Set: Nil
	Recommended for grant of renewal of consent. 
	Issue renewal of consent. 

	32
	36881
	13-04-2011
	SANDEEP KUMAR
	H-1271, DSIDC
	NARELA INDUSTRIAL AREA
	RENEWAL
	Mfg. of PVC Goods.
	CTO (Y) issued on 27.06.2003 and valid upto 25.07.2005 Vide C.No.6145.
	 
	1.Date of Commencement:Aug, 2002 
2.Trade effluent:Nil
3. G.W:Nil
4. D.G.Set: Nil
	Recommended for grant of renewal of consent. 
	Issue renewal of consent. 

	33
	36882
	13-04-2011
	JAIN CELLO CORPORATION
	PLOT NO 15, POCKET-K, SECTOR-3, DSIDC
	BAWANA INDUSTRIAL AREA
	OPERATE
	Mfg. of roto printing papers & polythene tube and film.
	 
	 
	BUA:  250 Sq m
Wate consumption:600 lpd
Domestic discharge:60 lpd
Trade discharge:Nil
Date of commisioning: 2011
DG Set:62 KVA 
NMR: Yes (30.03.2011)
ECS:Yes
	Recommended for grant of consent to operate and authorization under HWM Rules. 
	Inspection be conducted. 

	34
	36883
	13-04-2011
	VIJAY JAIN
	H-1271, DSIDC
	NARELA INDUSTRIAL AREA
	RENEWAL
	Mfg. of PVC Goods.
	CTO (Y) issued on 27.06.2003 and valid upto 25.07.2005 Vide C.No.6144.
	 
	1.Date of Commencement:2000 
2.Trade effluent:  Nil
3. G.W:Nil
4. D.G.Set:Nil 
	Recommended for grant of renewal of consent for the activity without mfg. of plastic carry bags. 
	Issue renewal of consent for the activity without mfg. of plastic carry bags and plastic pouches. 

	35
	36886
	15-04-2011
	JAI MATA DAL MILL
	S-32,
	BADLI INDUSTRIAL ESTATE
	RENEWAL
	Dall Mill
	CTR (Y) issued on 22.01.2005 and valid upto 14.04.2008 Vide C.No.13370.
CTR (Y) issued on 02.07.2009 and valid upto 15.04.2011 Vide C.No. 25505.
CTE (Y) issued on 02.07.2009 and valid upto 01.07.2010 Vide C.No.20783.
	 
	1.Date of Commencement: 1998
2.Trade effluent: Nil 
3. G.W: Nil
4. D.G.Set: Nil
	Recommended for grant of renewal of consent. 
	Issue renewal of consent. 

	36
	36887
	15-04-2011
	SUNSHINE ART PRESS
	B-242, PHASE-I
	NARAINA INDUSTRIAL AREA PH-I
	RENEWAL
	Offset printing press
	CTO issued valid upto 30.12.2009 under green category.
Applied for renewal of autorisation under HWM rules on 15.04.2011 vide ID no 0730.
	 
	Plot area: 540 sqm.
Year of ommencement: 2002
Trade effluent: nil
D.G. nil
GW: nil
	Recommended for grant of renewal of consent and authorization under HWM Rules. 
	Issue renewal of consent without trade effluent discharge and authorization under HWM Rules. 

	37
	36890
	15-04-2011
	ESKA AUTO INDUSTRIES
	83, PHASE-II
	BADLI INDUSTRIAL ESTATE
	OPERATE
	Hot Re-rolling of Stainless steel Sheet.
	CTR (Y) issued on 20.04.2006 and valid upto 03.04.2008 Vide C.No.14232.
CTR (P) applied on 09.03.2007 Vide Id.No.20813.
CTE (P) applied on 19.09.2007 Vide Id.No.23556.
CTE (P) applied on 27.05.2009 Vide Id.No.30074.
	 
	1.Date of Commencement: 2009
2.Trade effluent:  Nil
3. G.W:  Nil
4. D.G.Set: Nil
	File be put up administratively. 
	Issue SCN for refusal of consent for non submission of the revalidated bank guarantee.

	38
	36895
	18-04-2011
	STAR ELECTROTECH
	A-42
	JHILMIL INDUSTRIAL AREA
	OPERATE
	Mfg.of Electrical & Electronics items.
	CTE: No.
	 
	BUA:167.22 SQ Mts.
Water Consumption:50 Lts/Day. 
GW:Nil.
Waste Water generation : 
(a) Domestic effluent:30  Lt/Day
(b) Trade effluent:Nil  Lt/Day
Date of Commissioning:2003.. 
D.G.SET: 45 KVA.
NMR submitted :Yes,06.04.2011.


	Ask the unit to submit the bank guarantee of Rs. 50,000 each under Air Act and HWM Rules valid for one year and also to seek consent to establish under orange category and authorization under HWM Rules. 
	Ask the unit to submit the bank guarantee of Rs. 50,000 each under Air Act and HWM Rules valid for one year and also to seek consent to establish under orange category and authorization under HWM Rules. 

	39
	36897
	18-04-2011
	PRECISION PAPER PRODUCTS
	T-22, PHASE-II
	OKHLA INDUSTRIAL AREA
	OPERATE
	Mfg. of computer stationery (with trade effluent)
	Pending
	 
	CTE :  issued on 07.01.09
Water Consumption :  500 Lt/d
Waste Water generation :  
(a) Domestic effluent:  150 Lt/d
(b) Trade effluent:  200 Lt/d
Date of Commissioning:1985 
ETP / STP:  ETP
Test Report (Water) within limit: yes
Test Report (Air) within limit:  N/a
NMR submitted:  submitted dated 05.02.11.
G W: Nil
D G set: 63 KVA
Adequacy report submitted dated May 2009 & test report submiteed dated 14.03.11.

CTO (Green) cancelled on 14.05.09 vd cancellation no 265.
CTE (Orange) issued on 07.01.09 vd CNO 19467
Authorization under HWM Rule applied on 18.04.11 vd ID 0733.
	Recommended for grant of consent to operate and authorization under HWM Rules. 
	Issue consent to operate and authorization under HWM Rules. 

	40
	36900
	19-04-2011
	ANUPAM ART PRINTERS
	B-52
	NARAINA INDUSTRIAL AREA PH-II
	OPERATE
	Offset printing & Plate Making (with trade effluent discharge)
	Applied for CTO on 13.02.2006 vide ID no 17735.
CTE issued valid upto 28.10.2010 vide consent order no. 21722.
Applied for renewal of authorization on 19.04.2011 vide ID no 0739.
	Decision on 05.10.2009
Issue consent to establish
	Plot area: 500 sqm.
Year of ommencement: 1996
Trade effluent: 400 LPD, Adequacy report and effluent analysis report submitted dated 19.04.2011.
D.G. Set: 180 KVA, NMR submitted dated 20.10.2010
GW: 450 LPD
	Recommended for grant of consent to operate and authorization under HWM Rules. Inform to DJB regarding ground water extraction. 
	Issue consent to operate and authorization under HWM Rules. Inform to DJB regarding ground water extraction. 

	41
	36904
	19-04-2011
	J.P. DYE PRINTS
	C-150, PHASE-II
	MAYAPURI INDUSTRIAL AREA
	RENEWAL
	Washing of readymade garments denim cloth
	Earlier CTO issued valid upto 02.09.2007.
Applied for CTO_R on 21.09.2007 vide ID no 23589.
CTE issued valid upto 06.06.2011 vide consent order no 24107.
Applied for renewal of authorisation on 21.09.2010 vide ID no 0418.
	Decision on 07.05.2010
Issue consent to establish.
	Plot area: 200 sqm.
Year of ommencement: 2003
Trade effluent: 4 KLD, Adequacy report and effluent analysis report submitted dated 16.02.2011
D.G. Set: nil
GW: 4.25 KLD
	Recommended for grant of renewal of consent and authorization under HWM Rules. Inform to DJB regarding ground water extraction. 
	Issue renewal of consent and authorization under HWM Rules. Inform to DJB regarding ground water extraction. 

	42
	36905
	20-04-2011
	LAMBA AUTO PRODUCTS
	A-142, PHASE-II
	MAYAPURI INDUSTRIAL AREA
	RENEWAL
	Mf. Of rubber auto parts & machinery parts
	Earlier CTO issued valid upto 04.06.2005.
Applied for CTO on 04.05.2005 vide ID no 13894.
CTO_R issued valid upto 04.06.2008.
	 
	Plot area: 150 sq yards.
Year of ommencement: 1980
Trade effluent: nil
D.G. Set: nil
GW: NIL
	Ask the unit to provide channelization system for its fugitive emissions through a stack havign height of atleast 12 meter or 2 meter above roof top of the shed/building whichever is more and to submit the stack monitoring report to substantiate that emissions are within the prescribed limit of 150 mg/nm3 for Particualte Matter and 50 mg/Nm3 for Volatile Organic Compounds as notified vide notification dated 18.03.2011. 
	Inspection be conducted. 

	43
	36906
	20-04-2011
	G.K. RUBBER WORKS
	A-142, PHASE-II
	MAYAPURI INDUSTRIAL AREA
	RENEWAL
	Mfg of auto parts & machinery parts
	Earlier CTO & CTO_R issued valid upto 04.06.2008.
Applied for CTO_R on 16.05.2008 vide ID no 25757.
	 
	Plot area: 450 sqm.
Year of ommencement: 1963
Trade effluent: nil
D.G. Set: nil
GW: 300 LPD (MCD+GW)
	Ask the unit to provide channelization system for its fugitive emissions through a stack havign height of atleast 12 meter or 2 meter above roof top of the shed/building whichever is more and to submit the stack monitoring report to substantiate that emissions are within the prescribed limit of 150 mg/nm3 for Particualte Matter and 50 mg/Nm3 for Volatile Organic Compounds as notified vide notification dated 18.03.2011. 
	Inspection be conducted. 

	44
	36907
	20-04-2011
	AHUJA TYRE RETREADERS
	A-14
	WAZIRPUR INDUSTRIAL AREA
	RENEWAL
	Retreading of Old Tyres.
	CTR (Y) issued on 15.11.2006 and valid upto 06.04.2008 Vide C.No.17623.
CTR (P) applied on 29.04.2008 Vide Id.No.25608.
	 
	1.Date of Commencement:1990
2.Trade effluent:Nil 
3. G.W:100 Ltr/d
4. D.G.Set: Nil
	Ask the unit to provide channelization system for its fugitive emissions through a stack havign height of atleast 12 meter or 2 meter above roof top of the shed/building whichever is more and to submit the stack monitoring report to substantiate that emissions are within the prescribed limit of 150 mg/nm3 for Particualte Matter and 50 mg/Nm3 for Volatile Organic Compounds as notified vide notification dated 18.03.2011. 
	Inspection be conducted. 

	45
	36908
	20-04-2011
	INDO TECH MAGNETICS
	B-61, PHASE-I
	MAYAPURI INDUSTRIAL AREA
	OPERATE
	Mfg. & assembly of switch mould power supply
	CTO issued valid upto 24.08.2009 under green category.
Earlier CTE and CTO_R canclled on 21.01.2011 and 08.03.2011 respectively which were applied on 15.02.2010 & 07.09.2009 under green category.
CTE issued valid upto 16.01.2012 vide consent order no 26476.
	Decision on 25.11.2010
Issue consent to establish after the disposal of Green category application by CMC(Green)
	Plot area: 600 sq yards
Year of ommencement: feb 2003
Trade effluent: nil
D.G. Set: 85 KVA, NMR submitted dated 08.04.2011
GW: 500 LPD
	Recommended for grant of consent to operate.  Inform to DJB regarding ground water extraction. 
	Issue consent to operate.  Inform to DJB regarding ground water extraction. 

	46
	36912
	20-04-2011
	SACHDEVA TRADERS
	PLOT NO 53, POCKET-E, SECTOR-1, DSIDC INDL COMPLEX
	BAWANA INDUSTRIAL AREA
	OPERATE
	Mfg. of plastic goods.
	 
	 
	BUA:  60 Sq m
Wate consumption: 700 lpd
Domestic discharge: 300 lpd
Trade discharge:Nil
Date of commisioning:  Jan 2010
DG Set: NIL 
NMR: N/A
	Recommended for grant of consent to operate. 
	Issue consent to operate. 

	47
	36920
	21-04-2011
	SEHGAL PACKAGING PVT. LTD.
	A-44
	NARAINA INDUSTRIAL AREA PH-II
	OPERATE
	Offset printing 
	Earlier CTO & CTO_R issued vald upto 21.03.2010
CTE issued calid upto 25.04.2011 vide consent order no 23453.
Applied for renewal of authorization under HWM Rules on 21.04.2011 vide ID no 0740.
	Decision on 16.03.2010
Issue consent to establish.
	Plot area: 1000 sqm.
Year of ommencement: 1987
Trade effluent: nil
D.G. Set: 2X125 KVA & 180 KVA, NMR submitted dated 31.03.2011
GW: NIL
	Recommended for grant of consent to operate and authorization under HWM Rules. 
	Issue consent to operate and authorization under HWM Rules. 

	48
	36921
	21-04-2011
	SHIV INDUSTRIES
	A-9, GROUP
	WAZIRPUR INDUSTRIAL AREA
	OPERATE
	mfg. of utensils with Buffing.
	CTO (Y) issued on 07.10.2003 and valid upto 01.08.2005 Vide C.No.8134.
CTR (P) applied on 21.07.2008 Vide Id.No.26605.
CTE (P) appled on 22.11.2010 Vide Id.No.35709.
	 
	1.Date of Commencement: 2010
2.Trade effluent:Nil
3. G.W:Nil
4. D.G.Set: Nil
	Recommended for grant of consent to operate. 
	Issue consent to operate and consent to establish. 

	49
	36924
	21-04-2011
	GIG AUTO INDUSTRIES
	89, PHASE-II
	BADLI INDUSTRIAL ESTATE
	OPERATE
	Cold Re- Rolling of S.S. Sheet
	CTR (R ) refusal No. 1178.
CTE (P) applied on 21.04.2011 Vide Id.No.36923.
	 
	1.Date of Commencement:1995 
2.Trade effluent:Nil 
3. G.W:Nil
4. D.G.Set: Nil
	Recommended for grant of consent to operate. 
	Issue consent to operate. 

	50
	36928
	21-04-2011
	SHARP INDUSTRIES
	PLOT NO 197, POCKET-F, SECTOR-5, DSIDC
	BAWANA INDUSTRIAL AREA
	OPERATE
	Injection moulding plastic households items max. shot weight 150 gm ( job work & mfg. plastic comb etc. )
	 
	 
	BUA:  125 Sq m
Wate consumption: 150 lpd
Domestic discharge: 100 lpd
Trade discharge:Nil
Date of commisioning:  SEP 2005
DG Set: Nil
NMR: N/A
	Recommended for grant of consent to operate. 
	Issue consent to operate. 

	51
	36930
	25-04-2011
	WELCOME SERVICE STATION
	DISTRICT CENTRE, SAKET
	NC-S
	RENEWAL
	Filling station cum service station 
	Pending
	           13.01.11 ( IN CTR File)
Issue renewal of consent and authorization under HWM Rules. Inform to DJB regarding ground water extraction. 
	CTE :  issued on 27.10.09
Water Consumption :  3500 Lt/d
Waste Water generation :  
(a) Domestic effluent:  400 Lt/d
(b) Trade effluent:  3000 Lt/d
Date of Commissioning: 1983
ETP / STP:  ETP
Test Report (Water) within limit: yes
Test Report (Air) within limit:  N/a
NMR submitted: submitted dated 18.04.11
G W: Nil
D G set:20 KVA 

Adequacy report submitted dated 10.12.07 & test report submiteed dated 31.03.11

CTR issued on 30.08.04 vd CNO 11421..
CTR issued on 09.02.11 valid upto 06.03.11 vd CNO 26692.
CTE issued on 27.10.09 vd CNO 21634.
Authotization under HWM Rules issued on 03.03.11 
	Recommended for grant of renewal of consent. 
	Issue renewal of consent. 

	52
	36931
	25-04-2011
	SHANKAR AUTOMOBILE
	BHAI VEER SINGH MARG, GOLE MARKET
	NC-ND
	OPERATE
	Filling station Cum Service station of cars.
	CTR (Y) issued on 24.06.2004 and valid upto 27.04.2007 Vide C.No.10910.
CTR (P) applied on 17.01.2008 Vide Id.No.24777.
	13.01.2011
Ask the unit to apply for fresh renewal of consent and fresh authorization under HWM Rules immediately. Inform to DJB regarding ground water extraction.
	1.Date of Commencement: 1980
2.Trade effluent: 2 Kilo lt/d, 
3. G.W:Nil
4. D.G.Set: 1X25 KVA

Letter was sent on 24.01.2011.
	Recommended for grant of consent to operate. 
	Applied for authorization under HWM Rules on 25.04.2011as informed by CMC officials. Issue renewal of consent and authorization under HWM Rules. 

	53
	36932
	25-04-2011
	PAWA MOTORS (PAWA INTERNATIONAL (P) LTD
	A-30
	GTK ROAD INDUSTRIAL AREA
	OPERATE
	Service Station of Cars.
	CTE (Y) issued on 18.10.2010 and valid upto 17.10.2011 Vide C.No.25797.
	06.09.2010
Issue consent to establish.
	1.Date of Commencement: 2010
2.Trade effluent: 2 kilo lt/d, 
3. G.W: 2.5 lt/d
4. D.G.Set: 75 KVA
	Ask the unit to submit original adequacy report from emapenelled consultant of DPCC. 
	Case be put up after implementation of decision of Scrutinizing Committee.

	54
	36933
	25-04-2011
	MAGIC AUTO PVT. LTD
	68/3
	NAJAFGARH ROAD INDUSTRIAL AREA
	OPERATE
	Service station of cars
	Earlier CTE cancelled on 05.07.2010.
CTE issued valid upto 26.11.2011 vide consent order no 22639.
Applied for fresh authorisation under HWM Rules on 25.04.2011 vide ID no 0743.
	Decision on 21.12.2009/22.12.2009
Issue consent to establish.
	Plot area: 3157 sqm.
Year of ommencement: 2009
Trade effluent: 5000 LPD, adequact report and effluent analysis report submitted dated 17.03.2011
D.G. Set: 125 KVA , NMR submitted dated 31.03.2011
GW: NIL
	Inspection be conducted. 
	Inspection be conducted. 

	55
	36936
	25-04-2011
	BALSONS ELECTRONICS INDUSTRIES
	3/20
	KIRTI NAGAR INDUSTRIAL AREA
	OPERATE
	Mfg. of plastic moulding and electronic items
	CTE issued valid upto 24.04.2011 vide consent order no 23430.
	Decision on 16.03.2010
Issue consent to establish.
	Plot area: 167.22 sqm.
Year of ommencement: 2010
Trade effluent: nil
D.G. Set: nil
GW: NIL
	Recommended for grant of consent to operate. 
	Issue consent to operate. 

	56
	36937
	25-04-2011
	MGF AUTOMOBILES LTD.
	38/1-2, RAMA ROAD
	NAJAFGARH ROAD INDUSTRIAL AREA
	OPERATE
	Servicing/washing of cars (washing & repair of four wheelers)
	Applied for CTE on 22.11.2010 vide ID no 35693
Applied for fresh authorization under HWM rules on 25.04.2011 vide ID no 0745.
	Decision on 14.02.2011
Ask the unit to submit the proper details about the ETP and the existance of painting booth. Inspection be conducted
	Letter issued to the unit on 05.04.2011. Reply awaited

Plot area: 2038 sqm.
Year of ommencement: 2011
Trade effluent: 2500 LPD, adequacy report and effluent analysis report submitted dated 14.03.2011.
D.G. Set: 125 KVA, NMR submitted dated 14.03.2011
GW: NIL
	Inspection be expedited.
	Inspection done. Ask the unit to submit stack monitoring report for the paint booth from approved laboratory of DPCC. If unit submits the satisfactory stack monitoring report, consent to operate and authorization under HWM Rules be issued. 

	57
	36942
	25-04-2011
	JAYPEE SIDDHARTH (JAYPEE HOTELS A DIVISION OF JAIPRAKASH ASSOCIATES LIMITED)
	3, RAJENDRA PLACE
	NC-C
	RENEWAL
	Hospitality
	Pending
	13.01.11 ( IN CTR File) : The unit must use the treated waste water for the entire cooling requirement so that fresh water is conserved and treated waste water get optimally utilized. Ask the unit to submit a feasibility report for installation of Sewage Treatment Plant(STP) for treating the entire waste water and for installation of recycling system for reuse of treated waste water in the cooling tower, toilet flushing, horticulture etc. supported by a water mass balance chart. Unit is also required to submit the status of obtaining the ISO 14001 certification, a fresh effluent analysis report with complete parameters as per new notification from approved laboratory of DPCC. Also unit may be asked to install Solar Water Heating system and ensure use of CFL, BEE labeled equipments to conserve the energy. Ask the unit to apply for fresh authorization under HWM Rules. Inform to DJB regarding ground water extraction. 
	CTE :  not required
Water Consumption : 2,90,000 Lt/d on application form & 265 Kld on affidavit
Waste Water generation :  
(a) Domestic effluent: 120 Kld
(b) Trade effluent: 50-60 Kld
Date of Commissioning: 1981
ETP / STP:  ETP
Test Report (Water) within limit: No ( phosphate exceeds)
Test Report (Air) within limit:  yes
NMR submitted :  submitted dated 31.03.11
G W: 40,000 Lt/d
D G set: 910 KVA & 910 KVA 
Unit have two boiler.
Adequacy report submitted dated February.07 & test report submiteed dated 08.04.11
SMRs submitted dated 07.04.11.
CTR refused on 03.10.05 vd refusal no 888.
CTR issued on 01.06.06 valid upto 31.05.08 vd CNO 14898
CTR applied on 30.04.08 vd ID 25624.
Letter issued to the unit on 28.02.11
Letter issued to the DJB on 25.02.11.
Unit submitted its reply on 07.03.11.
	Issue SCN for refusal of consent as the unit has not submitted the complete compliance of the earlier letter issued and the phosphate is exceeding the prescribed limit in treated effluent. Also ask the unit to submit the valid MCD health licence. 
	MCD (Helath) license submitted as informed by CMC officials. Ask the unit to instal the STP for treating the entire waste water generated and to comply with earlier CMC(Orange) decision dated 13.01.2011 within 04 months, failing which, necessary action will be initiated including the direction for cancellation of star category license to Ministry of Tourisum. Also issue SCN for refusal of consent as the unit has not submitted the complete compliance of the earlier letter issued and the phosphate is exceeding the prescribed limit in treated effluent. 

	58
	36945
	26-04-2011
	PLASTO CRAFT SANITARY (INDIA) PVT. LTD.
	B-59, PHASE-I
	MAYAPURI INDUSTRIAL AREA
	OPERATE
	Mfg. of Bathroom Fittings
	Applied for CTO on 28.11.2006 vide ID no 19987.
Applied for fresh authorization under HWM rules on 27.04.2011 vide ID no 0748.
	 
	Plot area: 600 sqm.
Year of ommencement: 1972
Trade effluent: 600 LPD, adequacy report and effluent report submitted dated 21.04.2011 
D.G. Set: 180 KVA, NMR submitted dated 04.10.2010
GW: NIL
SMR of furnace submitted dated 21.04.2011.
	Ask the unit to categorically state whether buffing activity is carried out or not. Also ask the unit to seek consent to establish. 
	Ask the unit to categorically state whether buffing activity is carried out or not and to provide information about type of furnace. Also ask the unit to seek consent to establish. 

	59
	36956
	27-04-2011
	DINESH PLASTIC
	T-4/62, PHASE-I
	MANGOL PURI INDUSTRIAL AREA
	RENEWAL
	Mfg. of PVC Foot wear.
	CTR (Y) issued on 20.01.2004 and valid upto 11.12.2006 Vide C.No.9307.
CTR (P) applied on applied on 03.06.2008 Vide Id..No.25961.
	 
	1.Date of Commencement: 1997
2.Trade effluent:Nil
3. G.W:  200 lt/d
4. D.G.Set: Nil
	Recommended for grant of renewal of consent. 
	Issue renewal of cosnent. Inform to DJB regarding ground water extraction. 

	60
	36957
	27-04-2011
	AMBE AUTO
	D-9/5, PHASE-II
	OKHLA INDUSTRIAL AREA
	OPERATE
	Washing & servicing of two wheelers
	Pending
	 
	CTE :  issued on 30.06.10
Water Consumption : 5500 Lt/d
Waste Water generation :  
(a) Domestic effluent:  400 Lt/d
(b) Trade effluent:  5000 Lt/d
Date of Commissioning: 2010
ETP / STP:  ETP
Test Report (Water) within limit: yes
Test Report (Air) within limit:  n/a
NMR submitted:  submitted dated 25.02.11
G W: Nil
D G set: 40 KVA

Adequacy report submitted dated March 2011 & test report submiteed dated14.03.11
CTE issued on 30.06.10 vd CNO 24645.
	Ask the unit to apply for authorization under HWM Rules immediately. 
	Authorization applied on 02.06.2011 as informed by CMC officials. Issue consent to operate and authorization unde HWM Rules. 

	61
	36959
	27-04-2011
	DELHI TRANSPORT CORPORATION
	CENTRAL WORKSHOP-I, BBM COMPLEX
	NC-N
	RENEWAL
	Accident, Bus body repairing and tyre repairing
	 
	 
	BUA : 14883 sqm
Water Consumption : 2500 lt/day
Domestic effluent  100 Lt/day
Trade Effluent : 500 Lt/day
D.G.Set : 110 & 62.5 KVA. 
	Ask the unit to explain as to how the waste oil collected from different DTC depot of Delhi is handled in this Central workhsop clearly indicating that waste oil is covered under the HWM Rules 2008, warranting the manadatory authorization to be obtained from DPCC. Inspection be conducted. 
	Ask the unit to explain as to how the waste oil collected from different DTC depot of Delhi is handled in this Central workhsop clearly indicating that waste oil is covered under the HWM Rules 2008, warranting the manadatory authorization to be obtained from DPCC. Inspection be conducted. 

	62
	36960
	28-04-2011
	DEEP FOOD PRODUCTS (P) LTD
	C-508-509, DSIDC
	NARELA INDUSTRIAL AREA
	RENEWAL
	Dall & Besan Mill.
	CTO (Y) issued on 02.06.2003 and valid upto 25.07.2005 Vide C.No.5259.
CTR (Y) issued on 07.07.2006 and valid upto 25.05.2008 Vide C.No.16126.
CTR (P) applied on 14.05.2008 Vide Id.No.25734.
	 
	1.Date of Commencement:1998 
2.Trade effluent:Nil
3. G.W:Nil
4. D.G.Set: 1X82.5 KVA
	Recommended for grant of renewal of consent. 
	Issue renewal of consent. 

	63
	36961
	28-04-2011
	J.J. IMPO-EXPO
	Z-22, PHASE-II
	OKHLA INDUSTRIAL AREA
	OPERATE
	Readymade garments without washing
	Pending
	 
	CTE :  issued on 11.05.11
Water Consumption :  1900 Lt/d
Waste Water generation :  
(a) Domestic effluent:  1200 Lt/d
(b) Trade effluent:  Nil
Date of Commissioning: March 2011
ETP / STP:  N/a
Test Report (Water) within limit: N/a
Test Report (Air) within limit:  yes
NMR submitted :  submitted dated 25.03.11
G W: 
D G set: 200 KVA
unit have two boiler
CTE issued on 11.05.11 vd CNO 27394.
	Recommended for grant of consent to operate. 
	Issue consent to operate. 

	64
	36962
	28-04-2011
	IFA STEELS PVT. LTD
	H-1482, DSIDC INDL COMPLEX
	NARELA INDUSTRIAL AREA
	OPERATE
	Mfg. of Wire Mesh (Wire Netting).
	CTE (Y) issued on 24.08.2006 and valid upto 23.08.2007 Vide C.No.16537.
CTO (P) applied on 07.05.2007 Vide Id.No.21231.
	 
	1.Date of Commencement: 2006
2.Trade effluent:Nil
3. G.W:Nil
4. D.G.Set: Nil
	Recommended for grant of consent to operate. 
	Issue consent to operate. 

	65
	36963
	28-04-2011
	SHIV DEV SINGH
	H-1272, DSIDC
	NARELA INDUSTRIAL AREA
	RENEWAL
	Mfg. of PVC Goods.
	 
	 
	1.Date of Commencement: 2002
2.Trade effluent:Nil
3. G.W:Nil
4. D.G.Set: Nil
	Recommended for grant of renewal of consent for the activity without mfg. of plastic carry bags. 
	Issue renewal of consent for the activity without mfg. of plastic carry bags. 

	66
	36964
	28-04-2011
	JAGDISH FOOD INDUSTRIES
	F-1672
	NARELA INDUSTRIAL AREA
	OPERATE
	Dall Mill
	CTE : Obtained.
	 
	1.Date of Commencement: Jan,2011
2.Trade effluent:Nil
3. G.W: Nil
4. D.G.Set: Nil
	Recommended for grant of consent to operate. 
	Issue consent to operate. 

	67
	36968
	28-04-2011
	SANDEEP KUMAR
	H-1272, DSIDC
	NARELA INDUSTRIAL AREA
	RENEWAL
	Mfg. of PVC Goods.
	CTE Not Applied.
CTO (Y) issued on 27.06.2003 and valid upto 25.07.2005 Vide C.No.6146.
	 
	1.Date of Commencement: 2000
2.Trade effluent:Nil
3. G.W: Nil
4. D.G.Set: Nil
	Recommended for grant of renewal of consent for the activity without mfg. of plastic carry bags. 
	Issue renewal of consent for the activity without mfg. of plastic carry bags. 

	68
	36969
	28-04-2011
	B.S. PLASTICS
	T-2/160, PHASE-I
	MANGOL PURI INDUSTRIAL AREA
	RENEWAL
	Mfg. of PVC Sports Shoes.
	CTR (Y) issued on 09.01.2004 and vlid upto 31.02.2006 Vide C.No.9216.
CTR (P) applied on 11.07.2004 Vide Id.No.22335.
	 
	1.Date of Commencement:2002 
2.Trade effluent:Nil
3. G.W:Nil
4. D.G.Set: Nil
	Recommended for grant of renewal of consent. 
	Issue renewal of consent. 

	69
	36970
	28-04-2011
	S.K. FOOD INDUSTRIES
	G-1093, DSIDC
	NARELA INDUSTRIAL AREA
	OPERATE
	Flour Mill.
	CTE (Y) issued on 18.02.2010 and valid upto 17.02.2011 Vide C.No.22854.
	 
	1.Date of Commencement:2011 
2.Trade effluent: Nil
3. G.W: Nil
4. D.G.Set: Nil
	Recommended for grant of consent to operate. 
	Issue consent to operate. 

	70
	36971
	28-04-2011
	VISHNU CABLE INDUSTRIES
	E-699,
	NARELA INDUSTRIAL AREA
	OPERATE
	Mfg. Of PVC Cable.
	CTE (P) applied on 08.07.2010 Vide Id.No.34439.
	 
	1.Date of Commencement: 2010
2.Trade effluent:Nil
3. G.W:Nil
4. D.G.Set: Nil
	If the unit submits the fresh affidavit in proper stamp paper as decided in consent to establish application, consent to operate and consent to establish be issued. 
	If the unit submits the fresh affidavit in proper stamp paper as decided in consent to establish application, consent to operate and consent to establish be issued. 

	71
	36977
	28-04-2011
	INTERNATIONAL DIESEL PARTS
	PLOT NO 45, PHASE-II
	BADLI INDUSTRIAL ESTATE
	RENEWAL
	Cold rollinf of S.s. Sheets.
	CTR (Y) issued on 20.04.2006 and valid upto 22.01.2008 Vide C.No.14234.
CTR (P) applied on 05.08.2007 Vide Id.No.21678.
CTE (Y) issued on 28.02.2008 and valid upto 27.02.2009 Vide C>No.18446.
	 
	1.Date of Commencement: 1999
2.Trade effluent:Nil
3. G.W: Nil
4. D.G.Set: Nil
	Recommended for grant of renewal of consent. 
	Issue renewal of consent. 

	72
	36989
	29-04-2011
	M.S. STEEL
	A-66, GROUP (IIND & IIIRD FLOOR
	WAZIRPUR INDUSTRIAL AREA
	OPERATE
	Mfg. of Stainless Steel Utensils with buffing
	CTE (P) applied on 15.11.2010 Vide Id.No.35633.
	 
	1.Date of Commencement:2009 
2.Trade effluent:Nil
3. G.W:Nil
4. D.G.Set:1X 62.5 KVA
	Bank Guarantee submitted. Recommended for grant of consent to operate and consent to establish. 
	Bank Guarantee submitted. Issue consent to operate and consent to establish. 

	73
	36991
	29-04-2011
	GANDHI SCIENTIFIC CO
	42, PHASE-II
	BADLI INDUSTRIAL ESTATE
	RENEWAL
	Mfg. of Auto Parts
	CTR (Y) issued on 24.10.2005 and valid upto 17.05.2008 Vide C.No.13204.
CTR (P) applied on 30.04.2008 Vide Id.No.25617.
	 
	1.Date of Commencement: 1986
2.Trade effluent:  NIL 
3. G.W:  lt/d
4. D.G.Set:  62.5 KVA
	Ask the unit to provide channelization system for its fugitive emissions through a stack havign height of atleast 12 meter or 2 meter above roof top of the shed/building whichever is more and to submit the stack monitoring report to substantiate that emissions are within the prescribed limit of 150 mg/nm3 for Particualte Matter and 50 mg/Nm3 for Volatile Organic Compounds as notified vide notification dated 18.03.2011. 
	Put up in next CMC after inspection in the similar cases of rubber moulding. 


