Minutes of the 162nd meeting of the Committee Constituted for Deciding the Consent under Orange Category, held on 08.04.2011 in the Conference Room of Chairman, DPCC.

   The following persons attended the meeting:

Sh. Dharmendra, Chairman, DPCC

Dr. A.K.Ambasht, Member Secretary, DPCC

Prof. S. K. Gupta, IIT-Delhi 

Sh. M. Dwarakanth, SSO, Dept. of Env., GNCTD 

Sh. B. Kumar, SEE, DPCC. 

EEs of CMC –  I, II, III & IV.


AEEs of CMC – I, II, III & IV.


Following are the minutes of the meeting:- 

Agenda Item No. 1- Personal Hearing of M/s Indian Institute of Technology, Hauz Khas, Delhi 

Prof. Ayyar of Indian Institute of Technology, Delhi came for personal hearing. Prof. Ayyar told that institution was compelled to start construction of accommodation not only for additional students of IIT, Delhi but also for the students from the IIT, Ropar (a newly created institution) in the interest of student’s education. The issue was deliberated in the Committee and it was decided that a suitable exemption from legal action be sought from the Lt. Governor of Delhi in this matter. 

Agenda Item No. 2-  Consent to Operate cases under Orange category  w.e.f. 01.01.2011 excluding the cases of  redevelopment areas, considered by Scrutinizing Committee on 29.03.2011 / 30.03.2011(161 cases).

. 

Decisions recommended with respect to this agenda are tabulated and annexed as Annexure – 1. It was brought into the notice of the Committee that CETP society in Narela has started functioning. Accordingly, the units be insisted for a membership of CETP society and Enquiry Counter be also instructed to take copy of proof of CETP membership with consent to operate / renewal of consent application in Narela Industrial Area as being done in other industrial areas in which CETP societies are functioning.
Agenda Item No. 3- Cases processed administratively for putting up in CMC, considered by Scrutinizing Committee on 29.03.2011 / 30.03.2011(03 cases).

.

Decisions recommended with respect to this agenda are tabulated and annexed as Annexure – 2. 

Agenda Item No. 4- Inspection cases in compliance of earlier CMC's decisions, considered by Scrutinizing Committee on 29.03.2011 / 30.03.2011(04 cases).

.

Decisions recommended with respect to this agenda are tabulated and annexed as Annexure – 3. 

Agenda Item No. 5- Cases in which closure directions u/s 31(A) of the Air Act, u/s 33(A) of the Water Act and u/s 5 of EPA were issued in compliance of earlier CMC’s decisions, considered by Scrutinizing Committee on 29.03.2011 / 30.03.2011(04 cases).

.

. Decisions recommended with respect to this agenda are tabulated and annexed as Annexure – 4. 

Agenda Item No. 6- Three Table Agenda, considered by Scrutinizing Committee on 29.03.2011 / 30.03.2011(03 cases).

.

Decisions recommended with respect to this agenda are tabulated and annexed as Annexure – 5. 

Agenda Item No. 7- Case of M/s Mansarover Indl Corporation, 70,          Najafgarh Road, New Delhi-15

Issue consent to operate. 

Table Agenda Item No 1: M/s Delhi Metro Rail Corporation Ltd., 8 Jantar Mantar Road, New Delhi
Inspection be conducted. 
Table Agenda Item No 2: M/s Standard Enamel Works (P) Ltd., D-40, G.T.K. Road, SMA Industrial Area, Delhi

Issue authorization under HWM Rules. 

Table Agenda Item No 3: M/s Multani Pharmaceutical Ltd., C-100, Phase-I, Okhla Industrial Area, New Delhi-20

Ask the unit to submit effluent analysis report with complete parameters from approved laboratory of DPCC. If unit submits the aforesaid document, renewal of consent and authorization under HWM Rules be issued. 

Table Agenda Item No 4: M/s Rajesh Gupta Manish Gupta & Pankaj Gupta (A unit of M/s R.M.P. International), A-51, Phase-I, Okhla Industrial Area, New Delhi-20

Decision taken on file ratified regarding submission of bank guarantee of Rs. 1 Lakh each under Air Act and Water Act valid for one year period and also for revocation of the closure directions, if the unit submits the requisite bank guarantee.
Table Agenda Item No 5: M/s Multigraphics, A-86, DDA Shed, Phase-II, Okhla Industrial Area, New Delhi-20

Decision taken on file ratified regarding submission of bank guarantee of Rs. 50,000 each under Air Act, Water Act and HWM Rules valid for one year period and confirm its reply on an affidavit. 

Table Agenda Item No 6: M/s Sonia Theatre Pvt. Ltd., G-1, Community Centre, Vikaspuri, Delhi-110018
Put up in next CMC.

Table Agenda Item No 7: M/s Ess Cee Cee & Associates (India) Pvt. Ltd., Plot No 2, Shivaji Place, District Centre, Raja Garden, Delhi.
Put up in next CMC. 

Meeting ended with thanks to the chair.
	S. No.
	I.D. No
	appl_dt
	Industry Name
	Industry Address
	Industrial Area
	Category
	Activitiy / Product
	Consent Status
	Earlier Committee Decision
	Remarks / Action Taken / ATR
	Recommendations of Scrutinizing Committee on 29.03.2011 / 30.03.2011
	Decision recommended by CMC(Orange) on 08.04.2011

	1
	36132  
	04-01-11
	RAMPS INDUSTRIES (INDIA)
	BT-1/83, PHASE-1, MANGOL PURI INDUSTRIAL AREA
	Mangolpuri Industrial Area
	Orange Operate
	MFG. OF SANITARY GOODS WIH ELECTROPLATING.
	Pending
	 
	28-03-2011 : Earlier CMC Decision: 06.04.2010 Recommended for grant of consent to establish. Subsequently, inspection be conducted. CTE ---- CTE issued on 18.06.2010 and valid upto 17.06.2011 Vide C.No. 24442 Water Consumption ---- 1000 liters/day Ground Water ---- 0 liters/day Built Up Area ---- 399 (in sq. meter) CETP Membership ---- Mangolpuri Industrial Area Phase - I & II CETP Society / Membership No ---- 3374 Date of commissioning of project ---- 01.04.2009. Waste Water generation Domestic Effluent ---- 1000 liters/day Trade Effluent ---- 500 liters/day ETP / STP ---- Yes Test Report(Water) within Limit ---- Yes Test Report(Air) within Limit ---- N/A NMR Sumitted ---- Yes
	Inspection be conducted to check the type of furnace w.r.t. negative / prohibited category of units as per MPD-2021.
	Inspection be conducted to check the type of furnace w.r.t. negative / prohibited category of units as per MPD-2021.

	2
	36134  
	04-01-11
	CANON INDIA PVT. LTD.
	D-180, PHASE-I, OKHLA INDUSTRIAL AREA,
	Okhla Industrial Area
	Orange Operate
	Repair and maintenance or Mfd (multi function device) PCB and fixing and assembling of mfg. W/o trade effulent.
	Pending
	 
	16-03-2011 : Earlier CMC Decisions On 04.08.09 Ask the unit to file Consent to Establish under Orange category and application under Green category becomes infructuous as unit generates e- waste as observed during the inspection. 21.12.09/22.12.09 Recommended for grant of Consent to Establish without trade effluent. Remarks CTE ---- issued on 27.01.10 Water Consumption ---- 200 liters/day Ground Water ---- 0 liters/day Built Up Area ---- 974 (in sq. meter) CETP Membership ---- Okhla Industrial Area CETP Society / Membership No - --- 2806 Date of commissioning of project ---- Waste Water generation Domestic Effluent ---- 100 liters/day Trade Effluent ---- 0 liters/day ETP / STP ---- N/A Test Report(Water) within Limit ---- N/A Test Report(Air) within Limit ---- N/A NMR Sumitted ---- Yes DG set : 125 KVA and NMR submitted dated 15.12.10. CTE(Green) cancel vd cancelation no 330 on 07.09.09 CTE (Orange) issued on 27.01.10 vd CNO 22616.
	Recommended for grant of consent to operate. 
	Issue consent to operate with the condition to send the e-waste to authorized recycler.

	3
	36135  
	04-01-11
	SETHI ACHAR FACTORY
	B-45, LAWRENCE ROAD INDUSTRIAL AREA
	Lawrence Road Industrial Area
	Orange Renewal
	MFG. OF ACHAR MURABA.
	Pending
	 
	10-02-2011 : CTE ---- CTE issued on 04.12.2009 and valid upto 04.12.2009 Vide C.No. 22179 Water Consumption ---- 1200 liters/day Ground Water ---- 0 liters/day Built Up Area ---- 400 (in sq. meter) CETP Membership ---- North West Industrial Federation CETP Society Date of commissioning of project ---- 01.01.1980 Waste Water generation Domestic Effluent ---- 100 liters/day Trade Effluent ---- 1000 liters/day ETP / STP ---- Yes Test Report(Water) within Limit ---- Yes Test Report(Air) within Limit ---- N/A NMR Sumitted ---- N/A
	Put up in next CMC meeting since SCN issued on 16.03.2011.
	Reply along with affidavit received. Ask the unit to submit bank guarantee of Rs. 50,000 under Water Act valid for one year, If unit submits the bank guarantee, renewal of consent be issued. 

	4
	36136  
	04-01-11
	VICTOR ELECTRODES LTD
	T-1-114,PHASE -I , MANGOLPURI INDUSTRIAL AREA
	Mangolpuri Industrial Area
	Orange Operate
	WELDING ELECTRODES.
	Pending
	 
	21-03-2011 : Earlier CMC Decision: 21.01.2011 Issue consent to establish. CTE ---- CTE issued on 25.02.2011 and valid upto 24.02.2012 Vide C.No. 26760. Water Consumption ---- 400 liters/day Ground Water ---- 0 liters/day Built Up Area ---- 400 (in sq. meter) CETP Membership ---- Mangolpuri Industrial Area Phase - I & II CETP Society / Membership No ---- 3877 Date of commissioning of project ---- 01.01.2010 Waste Water generation Domestic Effluent ---- 100 liters/day Trade Effluent 200 liters/day ETP / STP ---- Yes Test Report(Water) within Limit ---- Yes Test Report(Air) within Limit ---- N/A NMR Sumitted ---- Yes
	Recommended for grant of consent to operate. 
	Issue consent to operate. 

	5
	36137  
	04-01-11
	KAILASH FARM
	KH. NO. 237,238,239,240,241, VILLAGE MUKHMEL PUR, G.T. KARNAL ROAD
	NORTH WEST
	Orange Operate
	A PARTY LAWN.
	Pending
	 
	21-03-2011 : Earlier CMC Decision: 13.08.2010 Ask the unit to submit bank guarantee of rs. 1 Lakh each under Air and water Act valid for one year along with an affidavit stating taht unit will not operate its operation till installation of pollution control measures. ATR Remarks: Letter was sent on 06.05.2010 and in response of this letter you have submitted your reply on 27.09.2010. CTE ---- CTE applied on 13.07.2010 Vide id.No. 34492. Water Consumption ---- 3500 liters/day Ground Water ---- 0 liters/day Built Up Area ---- 500 (in sq. meter) CETP Membership ---- N/A Date of commissioning of project ---- 01.07.2010 Waste Water generation Domestic Effluent ---- 200 liters/day Trade Effluent ---- 3000 liters/day ETP / STP ---- Yes Test Report(Water) within Limit ---- Yes Test Report(Air) within Limit ---- N/A NMR Sumitted ---- Yes NMR Sumitted ---- Yes NMR Sumitted ---- Yes NMR Sumitted ---- Yes
	Ask the unit to submit valid permission from MCD.
	Ask the unit to submit valid permission from MCD.

	6
	36138  
	04-01-11
	JINDAL FARM HOUSE
	PALLA BAKHTAWARPUR ROAD, VILLAGE BAKOLI
	NORTH WEST
	Orange Operate
	FARM HOUSE (A PARTY LAWN).
	Pending
	 
	11-02-2011 : CTE ---- CTE applied on 22.11.2010 with Id. No. 35701. Water Consumption ---- 5300 liters/day Ground Water ---- 5300 liters/day Built Up Area ---- 500 (in sq. meter) CETP Membership ---- N/A Date of commissioning of project ---- 01-10-2010 Waste Water generation Domestic Effluent ---- 100 liters/day Trade Effluent ---- 5000 liters/day ETP / STP ---- Yes Test Report(Water) within Limit ---- Yes Test Report(Air) within Limit ---- N/A NMR Sumitted ---- N/A
	Inspection be conducted. Inform to DJB regading ground water extraction. 
	Inspection be conducted. Inform to DJB regading ground water extraction. 

	7
	36145  
	04-01-11
	TRIBHUVAN METAL INDUSTRIES
	C-59/1, WAZIRPUR INDUSTRIAL AREA
	Wazirpur Industrial Area
	Orange Operate
	Mfg. of Aluminium Sheets.
	Pending
	 
	23-03-2011 : Earlier CMC Decision: 06.09.2010 Decision deferred till clarification from DDA. CTE ---- CTE applied on 05.07.2010 Vide Id.No. 34396. Water Consumption ---- 400 liters/day Ground Water ---- 0 liters/day Built Up Area ---- 500 (in sq. meter) CETP Membership ---- Wazirpur Industrial Pollution Control Co. / Membership No ---- 1 Date of commissioning of project ---- 01.07.2010 Waste Water generation Domestic Effluent ---- 100 liters/day Trade Effluent ---- 0 liters/day ETP / STP ---- N/A Test Report(Water) within Limit ---- N/A Test Report(Air) within Limit ---- Yes NMR Sumitted ---- N/A
	Decision deferred till DDA clarification. 
	Decision deferred as MPD-2021 issue is under consideration. 

	8
	36147
	04-01-11
	PUNIHANI INTERNATIONAL
	B-114, Phase-I Okhla Industrial Area
	Okhla Industrial Area
	 Operate
	MANUFACTURING OF LEATHER GARMENTS (WITH WASHING
	Pending
	59th (Green)
Consent refused and issue closure direction.
136th :Ask the unit to submit Bank Guarantee of Rs. 1 Lakh under Water Act valid for one year and also submit adequacy report of ETP in closed condition of the unit from empanelled consultant of DPCC.
65th (Green) :Shift to CMC (Orange) for furher decision
149th : Recommended for grant of consent to establish and revocation of closure directions. 
	CTE : issued on 13.09.10
Water Consumption : 1.5 Kl/d
Waste Water generation : 
(a) Domestic effluent:0.5 kl/d
(b) Trade effluent: 1Kl/d
Date of Commissioning: oct 2010 
ETP /STP: ETP 
Test Report (Water) within limit : Yes
Test Report (Air) within limit :  N/A
NMR submitted : submitted dated 06.12.10
DG set : 160 KVA
Adequacy report submitted dated march 2010 and test report submitted dated 24.12.10
CTO (Green) issued on 27.04.04 vd CNO 10253.
CTR (Green) refsued vd refusal no 1892 on 23.12.09.
CTE (Green) refsued vd refusal no 1980 on 23.03.10
CTE (Orange) issued on 13.09.10 vd CNO 25511.
	Recommended for grant of consent to operate. 
	Issue consent to operate. 

	9
	36150
	05-01-11
	INDICON PROJECTS& EQUIPMENT LTD
	BLOCK B-1, PLOT G-1,
	MOHAN CO-OPERATIVE INDUSTRIAL ESTATE
	 Renewal
	AIR DRIER MACHINES(ENGG. WORK)/ PRESSURE VESSELS & HEAT EXCHANGE
	Pending
	 
	CTE : not requied
Water Consumption :  1000 lt/d
Waste Water generation : 
(a) Domestic effluent: 800 Lt/d
(b) Trade effluent: Nil
Date of Commissioning: 10.02.1986
ETP /STP: N/A
Test Report (Water) within limit : N/A
Test Report (Air) within limit :  N/A
NMR submitted : submitted dated 28.12.10
DG set : N125 KVA

CTR ISSUED ON 06.08.04 VD CNO 11160.
CTRissued on 24.09.10 vd CNO 25639
	Inspection be conducted w.r.t negative list as per MPD-2021
	Inspection be conducted w.r.t negative list as per MPD-2021

	10
	36151  
	05-01-11
	GULATI PLASTIC WORKS
	PLOT NO. 186, POCKET-K, SECTOR-5, DSIDC BAWANA INDUSTRIAL AREA
	Bawana Industrial Area
	Orange Operate
	MFg. of Plastic Moulded Goods (Injection Moulding Machine) w/o Trade Effluent.
	Pending
	 
	17-03-2011 : CTE ---- yes on 16.03.2010 Water Consumption ---- 100 liters/day Ground Water ---- 0 liters/day Built Up Area ---- 100 (in sq. meter) CETP Membership ---- Not Applicable Date of commissioning of project ---- 2010 Waste Water generation Domestic Effluent ---- 50 liters/day Trade Effluent ---- 0 liters/day ETP / STP ---- N/A Test Report(Water) within Limit ---- N/A Test Report(Air) within Limit ---- N/A NMR Sumitted ---- N/A
	Recommended for grant of consent to operate. 
	Issue consent to operate. 

	11
	36153  
	05-01-11
	IMPACT CABLE
	458-466, GALI NO. 8, SHAMBHUNATH COMPOUND, FRIENDS COLONY INDUSTRIAL AREA
	Friends Colony Industrial Area
	Orange Renewal
	Mfg. of PVC Compound, Wire and Cables.
	Pending
	 
	25-02-2011 : CTE ----Granted, valid upto 04.12.2004. Water Consumption ---- 150 liters/day Ground Water ---- 0 liters/day Built Up Area ---- 185 (in sq. meter) CETP Membership ---- Jhilmil & Friends Colony Industrial Area CETP Society / Membership No ---- 4002 Date of commissioning of project ----Jan 2004. Waste Water generation Domestic Effluent ---- 100 liters/day Trade Effluent ---- 0 liters/day ETP / STP ---- N/A Test Report(Water) within Limit ---- N/A Test Report(Air) within Limit ---- N/A. D.G.Set: Nil. NMR Sumitted ---- N/A
	Recommended for grant of renewal of consent. 
	Issue renewal of consent. 

	12
	36155  
	06-01-11
	KARMA MECHANICAL INDUSTRIES
	4/4, KIRTI NAGAR INDUSTRIAL AREA
	Kirti Nagar Industrial Area
	Orange Renewal
	PLASTIC GOODS
	Pending
	 
	16-03-2011 : CTE : Not Applied Water Consumption ---- 300 liters/day Ground Water ---- 0 liters/day Built Up Area ---- 83.64 (in sq. meter) CETP Membership ----Kirti Nagar & Naraina Industrial Area CETP Society and membership no. 806. Date of commissioning of project : 1968. Waste Water generation Domestic Effluent ---- 80 liters/day Trade Effluent ---- 0 liters/day ETP / STP ---- N/A Test Report(Water) within Limit ---- N/A Test Report(Air) within Limit ---- N/A NMR Sumitted ---- N/A ATR/Remarks: Earlier twice of CTO Issued valid upto 04.08.2006 vide consent order no 8353. CTTO_R Issued valid upto 30.08.2009 vide consent order no 17180.
	Recommended for grant of renewal of consent. 
	Issue renewal of consent. 

	13
	36160  
	06-01-11
	MAZDOOR WELDING WORKS
	A-28/4, PHASE-I, MAYAPURI INDUSTRIAL AREA
	Mayapuri Industrial Area
	Orange Renewal
	Railway components brake cylinder and air reservoir
	Pending
	 
	16-03-2011 : CTE : Not Applied Water Consumption ---- 150 liters/day Ground Water ---- 0 liters/day Built Up Area ---- 250 (in sq. meter) CETP Membership ---- N/A Date of commissioning of project : 1995 Waste Water generation Domestic Effluent ---- 100 liters/day Trade Effluent ---- 0 liters/day ETP / STP ---- N/A Test Report(Water) within Limit ---- N/A Test Report(Air) within Limit ---- N/A NMR Sumitted ---- Yes ATR/Remarks: CTO & CTO_R issued valid upto 11.09.2009 vide consent order no 17666.
	Recommended for grant of renewal of consent. 
	Issue renewal of consent. 

	14
	36162  
	06-01-11
	DELHI MILK SCHEME
	WEST PATEL NAGAR
	NEW DELHI
	Orange Renewal
	PROCESSING OF MILK AND MANUFACTURING OF MILK PRODUCTS LIKE GHEE BUTTER YOGHURT FLAVOURED MILK CHHACH AND PANEER ETC
	Pending
	 
	16-03-2011 : CTE : Not Applied Water Consumption ---- 1300000 liters/day Ground Water ---- 0 liters/day Built Up Area ---- 7.41 (in sq. meter) CETP Membership ---- N/A Date of commissioning of project ---- Waste Water generation Domestic Effluent ---- 130000 liters/day Trade Effluent ---- 1000200 liters/day ETP : Yes Test Report(Water) within Limit ---- Yes (sumitted on 27.04.2009) Test Report(Air) within Limit ---- N/A NMR Sumitted ---- N/A ATR/Remarks: CTO & CTO_R Issued valid upto 08.01.2008 vide consent order no 17841. Applied for CTO_R on 04.01.2008 vide ID no 24668. grant of authorization under HWM Rules on 20.02.2007 vide order no 1944. Earlier CMC Decision : Decision on 13.01.2011 Ask the unit to apply for fresh renewal of consent and fresh authorization under HWM Rules immediately. Letter issued to the unit on 15.02.2011. Reply awaited.
	Ask the unit to submit stack monitoring report from approved laboratory of DPCC.
	Ask the unit to submit effluent analysis report and stack monitoring report from approved laboratory of DPCC.

	15
	36165  
	07-01-11
	S.K. ENTERPRISES
	B-116,MAYAPURI INDUSTRIAL AREA PHASE-I
	Mayapuri Industrial Area
	Orange Renewal
	JOB WORK WASHING AND DYEING OF READYMADE GARMENTS
	Pending
	 
	16-03-2011 : CTE : Issued valid upto 27.05.2005 vide consent order no 10616. Water Consumption ---- 22000 liters/day Ground Water ---- 0 liters/day Built Up Area ---- 500 (in sq. meter) CETP Membership ---- Mayapuri Industrial Area CETP Society / Membership No ---- 11599 Date of commissioning of project :2004 Waste Water generation Domestic Effluent ---- 600 liters/day Trade Effluent ---- 19000 liters/day ETP : Yes Test Report(Water) within Limit ---- Yes Test Report(Air) within Limit ---- Yes NMR Sumitted : Yes ATR/Remarks: CTO issued valid upto 19.12.2008 vide consent order no 14287.
	Recommended for grant of renewal of consent. 
	Issue renewal of consent. Ask the unit to apply fresh authorization under HWM Rules. 

	16
	36167
	07-01-11
	THERMOPLATIC TECHNOLOGIES
	74
	SSI INDUSTRIAL AREA
	Orange Operate
	Plastic moulded components and assembling
	Pending
	 
	ATR Remarks:

CTE ---- Grant on 27.04.210 and valid upto 14.04.2011 vide consent no 23382
Water Consumption ---- 0.650K liters/day
Ground Water ---- nil
Built Up Area ---- 516 (in sq. meter)
CETP Membership ---- Yes
Date of commissioning of project ---- Since 2010
Waste Water generation 
  Domestic Effluent ----  200 LD
  Trade Effluent ---- N/A
ETP / STP ---- N/A
Test Report(Water) within Limit ---- N/A 
Test Report(Air) within Limit ---- N/A 
NMR Sumitted ---- yes
	Recommended for grant of consent to operate. 
	Issue consent to operate. 

	17
	36168  
	07-01-11
	BARBEQUE NATION
	B-1/623, OLD RAMESHWARM BUILDING, NEAR DISTRICT CENTER, JANAKPURI
	WEST
	Orange Operate
	BAR CUM RESTAURENT
	Pending
	 
	16-03-2011 : CTE : Applied on 02.12.2008 vide ID no 28267. Water Consumption ---- 10500 liters/day Ground Water ---- 0 liters/day Built Up Area ---- 1000 (in sq. meter) CETP Membership ---- N/A Date of commissioning of project ---- Waste Water generation Domestic Effluent ---- 1550 liters/day Trade Effluent ---- 7000 liters/day ETP : Yes Test Report(Water) within Limit ---- no Test Report(Air) within Limit ---- N/A NMR Sumitted ---- Yes ATR/Remarks: SCN issued on 17.07.2010 Unit submitted its reply on 04.10.2010 and stated that they have applied for adequacy report, will submit it after 15.11.2010 18.12.08 The unit seeks 30 days time for compliance. Time allowed. Ask the unjt to submit ETP completetion report along with photograph and affidavit for completion of installation of ETP and adequacy report of ETP. 23.04.2009 Unit came for personal hearing and promissed to submit adequacy report within 20 days. Call on 19.05.2009. 22.05.2009 Call on 08.07.2009 05.08.2010 Issue SCN for refusal of consent. This case link with SCN cases.
	File be put up administratively.
	Inspection be conducted.

	18
	36176  
	07-01-11
	SABHARWAL PLASTIC
	PLOT NO C-234, POCKET-C, SECTOR-2, DSIDC, BAWANA INDUSTRIAL AREA
	Bawana Industrial Area
	Orange Operate
	Manufacturing of Plastic Moulded Products (Buckets)
	Pending
	 
	04-03-2011 : CTE ---- yes granted on 27.10.2009 Water Consumption ---- 160 liters/day Ground Water ---- 0 liters/day Built Up Area ---- 60 (in sq. meter) CETP Membership ---- Not Applicable Date of commissioning of project ---- 2009 Waste Water generation Domestic Effluent ---- 75 liters/day Trade Effluent ---- 0 liters/day ETP / STP ---- N/A Test Report(Water) within Limit ---- N/A Test Report(Air) within Limit ---- N/A NMR Sumitted ---- N/A
	Recommended for grant of consent to operate. 
	Issue consent to operate. 

	19
	36180  
	07-01-11
	HUKAM CHAND AGGARWAL & SONS
	PLOT NO. 1535, DSIDC INDUSTRIAL COMPLEX, NARELA INDUSTRIAL AREA
	Narela Industrial Area
	Orange Operate
	MFG. OF PVC COMPOUND.
	Pending
	 
	23-03-2011 : CTE ---- CTE issued on 24.10.2005 and valid upto 13.10.2006 Vide C.No. 13166. Water Consumption ---- 135 liters/day Ground Water ---- 0 liters/day Built Up Area ---- 210 (in sq. meter) CETP Membership ---- Not Applicable Date of commissioning of project ---- 01-01-1994 Waste Water generation Domestic Effluent ---- 50 liters/day Trade Effluent ---- 0 liters/day ETP / STP ---- N/A Test Report(Water) within Limit ---- N/A Test Report(Air) within Limit ---- N/A NMR Sumitted ---- N/A
	Recommended for grant of consent to operate with the condition to submit the proof of CETP membership within 03 months.
	Ask the unit to submit the proof of CETP membership. If unit submits the aforesaid document, consent to operate be issued. 

	20
	36181  
	07-01-11
	SHIVA PLASTIC INDUSTRIES
	POCKET-O, PLOT NO-147, SEC-1, DSIDC COMPLEX BAWANA INDUSTRIAL AREA
	Bawana Industrial Area
	Orange Operate
	Manufacturing of Box Strips and Plastic Granules.
	Pending
	 
	04-03-2011 : CTE ---- yes on 15.12.2009 Water Consumption ---- 25 liters/day Ground Water ---- 0 liters/day Built Up Area ---- 150 (in sq. meter) CETP Membership ---- Not Applicable Date of commissioning of project ---- 01-01-2004 Waste Water generation Domestic Effluent ---- 15 liters/day Trade Effluent ---- 0 liters/day ETP / STP ---- N/A Test Report(Water) within Limit ---- N/A Test Report(Air) within Limit ---- N/A NMR Sumitted ---- N/A
	Recommended for grant of consent to operate. 
	Issue consent to operate. 

	21
	36183  
	07-01-11
	LUXMI OFFSET
	32/3,SHAHZADA BAGH INDUSTRIAL AREA OLD ROHTAK RD
	Shahzada Bagh Industrial Area
	Orange Operate
	Offset Printing, Lamination and Binding (without plate making)
	Pending
	 
	17-03-2011 : CTE ---- expired on 11.09.2008 Water Consumption ---- 90-100 liters/day Ground Water ---- 0 liters/day Built Up Area ---- 68 (in sq. meter) CETP Membership ---- Not Applicable Date of commissioning of project ---- May 2005 Waste Water generation Domestic Effluent ---- 70-80 liters/day Trade Effluent ---- 0 liters/day ETP / STP ---- N/A Test Report(Water) within Limit ---- N/A Test Report(Air) within Limit ---- N/A NMR Sumitted ---- N/A
	Recommended for grant of consent to operate and authorization under HWM Rules.
	Issue consent to operate and authorization under HWM Rules.

	22
	36186  
	07-01-11
	MICRO INDUSTRIAL CORPORATION UNIT-III
	C-2, ROHTAK ROAD, UDYOG NARGAR INDUSTRIAL AREA
	Udyog Nagar Industrial area
	Orange Operate
	FOOTWEAR
	Pending
	 
	16-03-2011 : CTE : Issued valid upto 16.02.2011 vide ID no 22798. Water Consumption ---- 1100 liters/day Ground Water ---- 0 liters/day Built Up Area ---- 1500 (in sq. meter) CETP Membership ---- DSIDC Industrial Estate, Nangloi & Udyog Nagar Industrial Area CETP Society / Membership No ---- 1 Date of commissioning of project : Since 1996 Waste Water generation Domestic Effluent ---- 900 liters/day Trade Effluent ---- 0 liters/day ETP / STP ---- N/A Test Report(Water) within Limit ---- N/A Test Report(Air) within Limit ---- N/A NMR Sumitted ---- Yes
	Recommended for grant of consent to operate. 
	Issue consent to operate. 

	23
	36189  
	10-01-11
	BAGGA LINK MOTORS LTD.
	LINK ROAD, KAROL BAGH, NEW DELHI
	CENTRAL
	Orange Renewal
	FILLING STATION CUM SERVICE STATION OF CARS.
	Pending
	 
	09-02-2011 : Earlier CMC Decisions 13.01.11 Issue renewal of consent. Ask the unit to apply for fresh authorization under HWM Rules. Remarks CTE ---- not required Water Consumption ---- 3500 liters/day Ground Water ---- 0 liters/day Built Up Area ---- 306 (in sq. meter) CETP Membership ---- N/A Date of commissioning of project ---- 1990 Waste Water generation Domestic Effluent ---- 400 liters/day Trade Effluent ---- 3000 liters/day ETP / STP ---- ETP insatlled Test Report(Water) within Limit ---- Yes Test Report(Air) within Limit ---- N/A NMR Sumitted ---- Yes DG set : 50 KVA and NMR submitted dated 15.12.10. Adequacy Report submitted dated 16.12.10 and Test report submitted dated 16.12.10 CTO valid upto 13.08.05 vd CNO 9274. CTR valid upto 23.12.06 vd CNO 10378. CTR valid upto 13.08.08 vd CNO 14994. CTR applied on 16.08.07 vd ID 23149. CTR valid upto 2906.12 vd CNO 26691. HWM authorization applied on 10.01.11 vd ID 0621. Renewal of consent issued on 09.02.11. letter to apply for fresh authorization under HWM Rules on 25.02.11
	Recommended for grant of renewal of consent and authorization under HWM Rules.
	Suitable clarification from the unit be taken regarding two consents in the same name for two different activities. 

	24
	36190  
	10-01-11
	BAGGA LINK MOTORS LTD
	389/395, FIE, PATPARGANJ INDUSTRIAL AREA
	Patparganj Industrial Area
	Orange Renewal
	Service Station of Cars
	Pending
	 
	25-02-2011 : CTE ---- No Water Consumption ---- 3500 liters/day Ground Water ---- 3500 liters/day Built Up Area ---- 605 (in sq. meter) CETP Membership ---- Not Applicable Date of commissioning of project ----1996. Waste Water generation: Domestic Effluent ---- 400 liters/day Trade Effluent ---- 3000 liters/day ETP / STP ---- Yes(16.12.2010). Test Report(Water) within Limit ---- Yes Test Report(Air) within Limit ---- N/A. D.G.Set: 75 KVA. NMR Sumitted ----Yes.20.12.2010
	Inspection be conducted. Inform to DJB regading ground water extraction. 
	Inspection be conducted. Inform to DJB regading ground water extraction. 

	25
	36203  
	11-01-11
	JIT INDUSTRIES
	PLOT NO.-142, POCKET-K, SECTOR-3, DSIDC INDUSTRIAL COMPLEX BAWANA INDUSTRIAL AREA
	Bawana Industrial Area
	Orange Operate
	Mfg. of PVC Dana and PVC Moulded goods (W/o Trade effluent)
	Pending
	 
	07-03-2011 : CTE ---- yes on 15.12.2009 Water Consumption ---- 1300 liters/day Ground Water ---- 0 liters/day Built Up Area ---- 90 (in sq. meter) CETP Membership ---- Not Applicable Date of commissioning of project ---- Sept 2009 Waste Water generation Domestic Effluent ---- 800 liters/day Trade Effluent ---- 0 liters/day ETP / STP ---- N/A Test Report(Water) within Limit ---- N/A Test Report(Air) within Limit ---- N/A NMR Sumitted ---- N/A
	Recommended for grant of consent to operate. 
	Issue consent to operate. 

	26
	36205  
	11-01-11
	RADISSION MARINA HOTEL
	G-59, CONNNAUGHT CIRCUS
	CENTRAL
	Orange Operate
	HOTEL.
	Pending
	 
	18-03-2011 : Earlier CMC Decision: 09.11.2010 Issue SCN u/s 33 (A) of the water Act and u/s 31 (A) of the Air Act. ATR Remarks: Letter was sent on 23.12.2010 and you have submitted your reply in response of this letter on 06.01.2011. CTE ---- CTE issued on 25.08.2010 and valid upto 24.08.2011. Water Consumption ---- 50000 liters/day Ground Water ---- 30000 liters/day Built Up Area ---- 7504.87 (in sq. meter) CETP Membership ---- N/A Date of commissioning of project ---- 01.04.2009 Waste Water generation Domestic Effluent ---- 18000 liters/day Trade Effluent ---- 22000 liters/day ETP / STP ---- Yes Test Report(Water) within Limit ---- Yes Test Report(Air) within Limit ---- Yes NMR Sumitted ---- Yes NMR Sumitted ---- Yes
	Ask the unit to submit Bank Guarantee of Rs. 50,000 each under Air Act and Water Act valid for one year. If unit submits the bank guaranee, consent to operate be issued. Inform to DJB regading ground water extraction. 
	Ask the unit to submit Bank Guarantee of Rs. 50,000 each under Air Act and Water Act valid for one year. If unit submits the bank guaranee, consent to operate be issued. Inform to DJB regading ground water extraction. 

	27
	36206  
	11-01-11
	CHANDU PRESS
	PLOT NO-63,F.I.E,PATPARGANJ INDUSTRIAL AREA
	Patparganj Industrial Area
	Orange Operate
	Offset printing Press (Without Trade Effluent).
	Pending
	 
	25-02-2011 : CTE ----Granted, valid upto 14.06.2011. HWM:Applied on 26.12.2005(Green operate). Water Consumption ---- 100 liters/day Ground Water ---- 0 liters/day Built Up Area ---- 91.96 (in sq. meter) CETP Membership ---- Not Applicable Date of commissioning of project ----2010. Waste Water generation Domestic Effluent ---- 50 liters/day Trade Effluent ---- 0 liters/day ETP / STP ---- N/A Test Report(Water) within Limit ---- N/A Test Report(Air) within Limit ---- N/A. D.G.Set: Nil. NMR Sumitted ---- N/A
	Recommended for grant of consent to operate and authorization under HWM Rules.
	Issue consent to operate and authorization under HWM Rules.

	28
	36207  
	11-01-11
	RAMJI SANITECH PVT. LTD.
	485, FIE, PATPARGANJ INDUSTRIAL AREA
	Patparganj Industrial Area
	Orange Renewal
	Manufacturing of Bathroom Sanitary Fittings with Electroplating and Buffing.
	Pending
	 
	10-03-2011 : CTE :No. Water Consumption ---- 500 liters/day Ground Water ---- 0 liters/day Built Up Area ---- 300 (in sq. meter) CETP Membership ---- Not Applicable Date of commissioning of project ----existing, 2000. Waste Water generation Domestic Effluent ---- 50 liters/day Trade Effluent ---- 400 liters/day ETP / STP ----Yes.Nov 2010. Test Report(Water) within Limit ---- Yes. ECS:Yes. Test Report(Air) within Limit ---- Yes. D. G.Set: 125 KVA. NMR Sumitted ----Yes. 20.12.2010.
	Recommended for grant of renewal of consent and authorization under HWM Rules.
	Issue renewal of consent and authorization under HWM Rules.

	29
	36209  
	11-01-11
	KIRTI PLASTIC WORKS
	421-A, GALI NO.-5, FRIENDS COLONY INDUSTRIAL AREA
	Friends Colony Industrial Area
	Orange Operate
	Mfg. of Plastic Products by Injection Moulding. M/c
	Pending
	 
	25-02-2011 : CTE: Yes, Valid upto 22.02.2011. Water Consumption ---- 120 liters/day Ground Water ---- 0 liters/day Built Up Area ---- 58 (in sq. meter) Cetp Membership ---- Jhilmil & Friends Colony Industrial Area CETP Society / Membership No ---- 001-09 Date of commissioning of project ---- April 2010. Waste Water generation Domestic Effluent ---- 50 liters/day Trade Effluent ---- 0 liters/day ETP / STP ---- N/A Test Report(Water) within Limit ---- N/A Test Report(Air) within Limit ---- N/A D.G.Set: Nil. NMR Sumitted ---- N/A
	Recommended for grant of consent to operate. 
	Issue consent to operate. 

	30
	36211
	12-01-11
	PRINT SCREENS
	B-76
	NARAINA INDUSTRIAL AREA PH-I
	Orange Renewal
	Screen 
printing
	Pending
	 
	Earlier CTO issued valid upto 14.12.2005.
CTO_R issued valid upto 
14.12.2010 vide consent order no.15995.
Applied for CTO_R on 12.01.2011 vide ID no 36211.
Applied for fresh authorization under HWM rules on 19.01.2011 vide ID no 0632.

Plot area: 700 sqm.
D.G. Set: nil
Trade effluent: nil
Domestic effluent : 5 LPD
	Recommended for grant of renewal of consent and authorization under HWM Rules.
	Issue renewal of consent and authorization under HWM Rules.

	31
	36215  
	12-01-11
	BEE KAY WIRES PVT LTD
	G-950,DSIDC, NARELA INDUSTRIAL AREA
	Narela Industrial Area
	Orange Renewal
	MFG. OF COPPER WINDING WIRE AND COPPER WIRE DRAWING.
	Pending
	 
	18-03-2011 : Earlier CMC Decision: Confirm closure. ATR Remarks: CTE ---- Not Applied. Water Consumption ---- 200 liters/day Ground Water ---- 200 liters/day Built Up Area ---- 180 (in sq. meter) CETP Membership ---- Not Applicable Date of commissioning of project ---- 01.03.2000 Waste Water generation Domestic Effluent ---- 150 liters/day Trade Effluent ---- 0 liters/day ETP / STP ---- N/A Test Report(Water) within Limit ---- N/A Test Report(Air) within Limit ---- Yes NMR Sumitted ---- Yes
	Ask the unit to apply for authorization under HWM Rules and to submit the proof of CETP membership. Inform to DJB regading ground water extraction. 
	Ask the unit to apply for authorization under HWM Rules and to submit the proof of CETP membership. Inform to DJB regading ground water extraction. 

	32
	36216  
	12-01-11
	SANJEEV TRADING COMPANY
	PLOT NO.256, SEC-3, POCKET B, DSIDC BHAWANA INDUSTRIAL AREA
	Bawana Industrial Area
	Orange Operate
	Manufacturing of Offset and screen printing and Mfg. of Corrugated Boxes.
	Pending
	 
	08-03-2011 : CTE ---- Yes 04.12.2009 Water Consumption ---- 100 liters/day Ground Water ---- 50 liters/day Built Up Area ---- 100 (in sq. meter) CETP Membership ---- Not Applicable Date of commissioning of project ---- 22.01.2009 Waste Water generation Domestic Effluent ---- 100 liters/day Trade Effluent ---- 0 liters/day ETP / STP ---- N/A Test Report(Water) within Limit ---- N/A Test Report(Air) within Limit ---- N/A NMR Sumitted ---- N/A
	Ask the unit to apply for authorization under HWM Rules. Inform to DJB regading ground water extraction. 
	Ask the unit to apply for authorization under HWM Rules. Inform to DJB regading ground water extraction. 

	33
	36234  
	13-01-11
	CAMBRIDGE PRINTING WORKS.
	B-85,NARAINA INDUSTRIAL AREA PHASE - II
	Naraina Industrial Area Phase - II
	Orange Renewal
	PAPER PRINTING BY OFFSET MACHINE AND PLATE MAKING WITH TRADE EFFLUENT
	Pending
	 
	17-03-2011 : CTE ---- Applied on 13.01.2011 vide ID no 36235. Water Consumption ---- 550 liters/day Ground Water ---- 0 liters/day Built Up Area ---- 334 (in sq. meter) CETP Membership ---- Naraina Industrial Area CETP Society / Membership No ---- 1381 Date of commissioning of project: Aug, 1979 Waste Water generation Domestic Effluent ---- 240 liters/day Trade Effluent ---- 200 liters/day ETP : Yes Test Report(Water) within Limit ---- Yes Test Report(Air) within Limit ---- N/A NMR Sumitted ---- Yes ATR/Remarks: ATR/Remarks: CTO Issued valid upto 2.01.2008 vide consent order no 13270. Applied for CTO_R on 16.01.2008 vide ID no 24755. Unit is also apply for renewal of authorization under HWM Rules on 13.01.2011 vide ID no 0627.
	Ask the unit to submit effluent analysis report with complete parameters from approved laboratory of DPCC. If  unit submits the aforesaid documents, renewal of consent and authorization under HWM Rules be issued.
	Ask the unit to submit effluent analysis report with complete parameters from approved laboratory of DPCC. If  unit submits the aforesaid documents, renewal of consent and authorization under HWM Rules be issued.

	34
	36236  
	13-01-11
	SAGAR INDIA
	E-694, GROUND FLOOR, DSIDC NARELA INDUSTRIAL AREA
	Narela Industrial Area
	Orange Operate
	MFG. OF PLASTIC DANA.
	Pending
	 
	18-03-2011 : CTE ---- CTE applied on 08.10.2010 Vide Id.No. 35322. Water Consumption ---- 170 liters/day Ground Water ---- 0 liters/day Built Up Area ---- 350 (in sq. meter) CETP Membership ---- Not Applicable Date of commissioning of project ---- 01-01-2010 Waste Water generation Domestic Effluent ---- 85 liters/day Trade Effluent ---- 0 liters/day ETP / STP ---- N/A Test Report(Water) within Limit ---- N/A Test Report(Air) within Limit ---- Yes NMR Sumitted ---- N/A
	Ask the unit to submit stack monitoring report with complete parameters from approved laboratory of DPCC and to submit the proof of CETP membership.
	Ask the unit to submit stack monitoring report with complete parameters from approved laboratory of DPCC and to submit the proof of CETP membership.

	35
	36237  
	13-01-11
	SHIV SHAKTI PLASTIC
	E-694, BASEMENT, DSIDC NARELA INDUSTRIAL AREA
	Narela Industrial Area
	Orange Operate
	MFG. OF PLASTIC DANA.
	Pending
	 
	18-03-2011 : CTE ---- CTE applied on 12.10.2010 Vide id.No. 35376. Water Consumption ---- 170 liters/day Ground Water ---- 0 liters/day Built Up Area ---- 150 (in sq. meter) CETP Membership ---- Not Applicable Date of commissioning of project ---- 01-01-2010 Waste Water generation Domestic Effluent ---- 85 liters/day Trade Effluent ---- 0 liters/day ETP / STP ---- N/A Test Report(Water) within Limit ---- N/A Test Report(Air) within Limit ---- Yes NMR Sumitted ---- N/A
	Ask the unit to submit stack monitoring report with complete parameters from approved laboratory of DPCC and to submit the proof of CETP membership.
	Ask the unit to submit stack monitoring report with complete parameters from approved laboratory of DPCC and to submit the proof of CETP membership.

	36
	36246  
	14-01-11
	GOYAL FLOUR MILL
	PLOT NO.-273, POCK-F, SEC-1, DSIDC BAWANA INDUSTRIAL AREA
	Bawana Industrial Area
	Orange Operate
	Flour Mill.
	Pending
	 
	07-03-2011 : CTE ---- yes 04.01.2011 Water Consumption ---- 200 liters/day Ground Water ---- 0 liters/day Built Up Area ---- 90 (in sq. meter) CETP Membership ---- Not Applicable Date of commissioning of project ---- Nov 2011 Waste Water generation Domestic Effluent ---- 100 liters/day Trade Effluent ---- 0 liters/day ETP / STP ---- N/A Test Report(Water) within Limit ---- N/A Test Report(Air) within Limit ---- Yes NMR Sumitted ---- N/A
	Recommended for grant of consent to operate. 
	Issue consent to operate. 

	37
	36248  
	17-01-11
	SWATI FABRICATORS
	PLOT NO.126, PKT-J, SEC-5, BAWANA INDUSTRIAL AREA
	Bawana Industrial Area
	Orange Operate
	Mfg. of Sheet Metal Works.
	Pending
	 
	17-03-2011 : CTE ---- yes 10.10.2007 Water Consumption ---- 200 liters/day Ground Water ---- 200 liters/day Built Up Area ---- 60 (in sq. meter) CETP Membership ---- Not Applicable Date of commissioning of project ---- November 2008 Waste Water generation Domestic Effluent ---- 150 liters/day Trade Effluent ---- 0 liters/day ETP / STP ---- N/A Test Report(Water) within Limit ---- N/A Test Report(Air) within Limit ---- N/A NMR Sumitted ---- N/A
	Inspection be conducted since activity of the unit appears to be falling in Green category. Inform to DJB regading ground water extraction. 
	Inspection be conducted since activity of the unit appears to be falling in Green category. Inform to DJB regading ground water extraction. 

	38
	36251  
	17-01-11
	GARG PLASTICS
	E-156, SECTOR-1, DSIDC BAWANA INDUSTRIAL AREA
	Bawana Industrial Area
	Orange Operate
	Plastic Products.
	Pending
	 
	18-03-2011 : CTE ---- expired on 24.01.2011 Water Consumption ---- 300 liters/day Ground Water ---- 0 liters/day Built Up Area ---- 100 (in sq. meter) CETP Membership ---- Not Applicable Date of commissioning of project ---- December 2009 Waste Water generation Domestic Effluent ---- 200 liters/day Trade Effluent ---- 0 liters/day ETP / STP ---- N/A Test Report(Water) within Limit ---- N/A Test Report(Air) within Limit ---- N/A NMR Sumitted ---- N/A
	Recommended for grant of consent to operate. 
	Issue consent to operate. 

	39
	36258  
	17-01-11
	GUPTA ELECTRIC & MACHINERY & STORES
	40, RAJASTHAN UDYOG NAGAR INDUSTRIAL AREA
	Rajasthan Udyog Nagar Industrial Area
	Orange Renewal
	MFG. OF PVC CABLES.
	Pending
	 
	21-03-2011 : CTE ---- Not Applied. Water Consumption ---- 350 liters/day Ground Water ---- 0 liters/day Built Up Area ---- 1200 (in sq. meter) CETP Membership ---- North West Industrial Federation CETP Society / Membership No ---- 8073 Date of commissioning of project ---- 01.01.1980 Waste Water generation Domestic Effluent ---- 100 liters/day Trade Effluent ---- 0 liters/day ETP / STP ---- N/A Test Report(Water) within Limit ---- N/A Test Report(Air) within Limit ---- N/A NMR Sumitted ---- Yes
	Issue SCN for refusal of consent since unit falls in negative / prohibited category of industries as per MPD-2021 in view of area of the unit  2000 sqm.
	Ask the unit to reconfirm its plot area duly supported by the documentary evidences as the same is indicated as 2000 sqm in its consent application which is equal to the threashold limit for classification of the unit under the negative list of MPD-2021.

	40
	36262  
	18-01-11
	ASHUTOSH METAL INDS.
	B-42, JHILMIL INDUSTRIAL AREA, SHAHDARA
	Jhilmil Industrial Area
	Orange Renewal
	MANUFACTURING OF COPPER INGOTS BY MELTING OF CU SCRAP.
	Pending
	 
	10-03-2011 : CTE:No. Water Consumption ---- 500 liters/day Ground Water :Nil liters/day Built Up Area ---- 400 (in sq. meter) CETP Membership ---- Jhilmil & Friends Colony Industrial Area CETP Society / Membership No ---- NO Date of commissioning of project ---1992, Existing. Waste Water generation Domestic Effluent ---- 50 liters/day Trade Effluent ---- 0 liters/day ETP / STP : N/A Test Report(Water) within Limit : N/A. ECS: Yes. Test Report(Air) within Limit ---- Yes D.G.Set: 125 KVA. NMR Sumitted ---- Yes.20.12.2010.
	Inspection be conducted w.r.t negative list as per MPD-2021
	Inspection be conducted w.r.t negative list as per MPD-2021

	41
	36263  
	18-01-11
	REPUBLIC ENGINEERS
	B-3, JHILMIL INDUSTRIAL AREA
	Jhilmil Industrial Area
	Orange Renewal
	Manufacturing of Aluminum Utencils.
	Pending
	 
	10-03-2011 : CTE :No Water Consumption: 700 liters/day Ground Water ---- 0 liters/day Built Up Area ---- 400 (in sq. meter) CETP Membership ---- Jhilmil & Friends Colony Industrial Area CETP Society / Membership No ---- 002-11 Date of commissioning of project:1971. Existing. )Waste Water generation Domestic Effluent ---- 100 liters/day Trade Effluent ---- 500 liters/day ETP / STP : Yes. Test Report(Water) within Limit :Yes.(22.10.2010). ECS:Yes, Oct 2010. Test Report(Air) within Limit ---- Yes. D.G.Set:250 KVA & 62.5 KVA. NMR Sumitted ---- Yes(12.01.2011).
	Ask the unit to apply for authorization under HWM Rules.
	Ask the unit to apply for authorization under HWM Rules.

	42
	36269  
	18-01-11
	MANJUL LAMINATES PVT. LTD.
	C-24, DSIDC PATPARGANJ INDUSTRIAL AREA
	Patparganj Industrial Area
	Orange Operate
	Mfg. Auto Parts Accessories
	Pending
	 
	25-02-2011 : CTE ---- Applied on 21.12.2010. Water Consumption ---- 200 liters/day Ground Water ---- 0 liters/day Built Up Area ---- 100 (in sq. meter) CETP Membership ---- Not Applicable Date of commissioning of project ----Sept:2010. Waste Water generation Domestic Effluent ---- 150 liters/day Trade Effluent ---- 0 liters/day ETP / STP ---- N/A Test Report(Water) within Limit ---- N/A Test Report(Air) within Limit ---- N/A D.G Set: Nil. NMR Sumitted ---- N/A
	Recommended for grant of consent to operate. 
	Issue consent to operate. 

	43
	36273
	19-01-11
	COSY RESTAURANT
	B-1/30, HAUZ KHAS
	NC-S
	Orange Renewal
	RESTAURANT
	 
	        01.12.05
Consent granted for three yrs with a condition to install flow measuring device within two months
	
CTE : not requied
Water Consumption :  1500 lt/d
Waste Water generation : 
(a) Domestic effluent: 100 Lt/d
(b) Trade effluent: 1000 Lt/d
Date of Commissioning: 1972
ETP /STP: NO (Oil and Grease trap installed)
Test Report (Water) within limit : NO 
Test Report (Air) within limit :  yes
NMR submitted : N/A
DG set : Nil
SMR submitted dated 07.12.10

CTR valid upto 05.06.08 vd CNO 13545.
CTO valid upto 05.6.05 vd CNO 3701.
	Recommended for grant of renewal of consent. 
	Issue renewal of consent. 

	44
	36274  
	19-01-11
	AVAL FASHION HOUSE
	A-33, NARAINA INDUSTRIAL AREA PHASE - II
	Naraina Industrial Area Phase - II
	Orange Operate
	MFG OF LADIES READYMADE GARMENTS WITH WASING AND SAMPLE DYEING
	Pending
	 
	15-03-2011 : CTE : Issued valid upto 27.10.2006 vide consent order no 13306 under Green category. CTE : Applied under Orange category on 16.08.2010 vide ID no 34860. Water Consumption ---- 4000 liters/day Ground Water ---- 0 liters/day Built Up Area ---- 766.33 (in sq. meter) CETP Membership ---- Naraina Industrial Area CETP Society / Membership No ---- 713 Date of commissioning of project : 2010 Waste Water generation Domestic Effluent ---- 2000 liters/day Trade Effluent ---- 0 liters/day ETP / STP ---- N/A Test Report(Water) within Limit ---- Yes Test Report(Air) within Limit ---- Yes NMR Sumitted ---- Yes ATR/Remarks: Unit is also apply for authorization under HWM Rules on 19.01.2011 vide ID no 0633. Letter issued to the unit on 11.01.2011 Earlier CMC Decision Decision on 25.11.2010 Ask the unit to submit adequacy report and test report from approved consultant / laboratory of DPCC.
	Ask the unit to submit effluent analysis report with complete parameters from approved laboratory of DPCC. If  unit submits the aforesaid documents, renewal of consent and authorization under HWM Rules be issued.
	Ask the unit to submit effluent analysis report with complete parameters from approved laboratory of DPCC. If  unit submits the aforesaid documents, renewal of consent and authorization under HWM Rules be issued.

	45
	36277  
	19-01-11
	PARAMOUNT PRODUCTS PVT.LTD.
	A-57/1, PHASE-II OKHLA INDUSTRIAL AREA
	Okhla Industrial Area
	Orange Operate
	MANUFACTURNG OF READYMADE GARMENTS WITH WASHING.
	Pending
	 
	28-01-2011 : Earlier CMC Decisions 140th Issue consent to establish. Subsequently, inspection be conducted. 27.08.10 Issue closure directions u/s 33 (A) of the Water Act. Remarks CTE ---- issued valid upto 03.06.11 Water Consumption ---- 15000 liters/day Ground Water ---- 15000 liters/day Built Up Area ---- 850 (in sq. meter) CETP Membership ---- Okhla Industrial Area CETP Society / Membership No ---- 2653 Date of commissioning of project ---- January 2007 Waste Water generation Domestic Effluent ---- 2000 liters/day Trade Effluent ---- 12000 liters/day ETP / STP ---- ETP Test Report(Water) within Limit ---- Yes Test Report(Air) within Limit ---- Not submitted NMR Sumitted ---- Yes DG set of 200 KVA and NMR submitted dated 05.01.11 Unit has 1(One) oil fired boiler but SMR not submitted. CTE(Green) issued valid upto 23.03.09 vide CNO 18468. CTE(Orange) issued valid upto 03.06.11 vide CNO 23977
	Issue SCN as to why prosecution proceedings should not be initiated as the unit has operated / operating in violations of the closure directions for submission of adequacy report, monitoring reports etc. Inform to DJB regading ground water extraction. 
	Issue effective closure through SDM.

	46
	36281  
	20-01-11
	ORGANIC COATING LTD
	A-56, NARAINA INDL. AREA PH-I
	Naraina Industrial Area Phase - I
	Orange Operate
	MIXING AND REPACKING OF WATER BASED PRINTING INK WITHOUT TRADE EFFLUENT DISCHARGE
	Pending
	 
	15-03-2011 : CTE : Issued valid upto 10.01.2012 vide consent order no 26356. Water Consumption ---- 80 liters/day Ground Water ---- 0 liters/day Built Up Area ---- 129.5 (in sq. meter) CETP Membership ---- Naraina Industrial Area CETP Society / Membership No ---- 787 Date of commissioning of project : Dec,2010 Waste Water generation Domestic Effluent ---- 60 liters/day Trade Effluent ---- 0 liters/day ETP / STP ---- N/A Test Report(Water) within Limit ---- N/A Test Report(Air) within Limit ---- N/A NMR Sumitted ---- N/A ATR/Remarks: Unit is also apply for fresh authorization under HWM Rules on 20.01.2011 vide ID no 0634.
	Recommended for grant of consent to operate and authorization under HWM Rules.
	Issue consent to operate without flexo graphic ink and authorization under HWM Rules.

	47
	36283  
	20-01-11
	TIRUPATI STEEL INDUSTRIES
	A-17, GROUP, WAZIRPUR INDUSTRIAL AREA
	Wazirpur Industrial Area
	Orange Operate
	MANUFACTURE OF UTENSILS WITH BUFFING.
	Pending
	 
	18-03-2011 : ATR Remarks: Revocation of closure direction was sent on 30.12.2010 and you have not submitted any reply in response of this letter. CTE ---- CTE issued on 02.06.2010 and valid upto 01.06.2011 Vide C.No. 23871. Water Consumption ---- 20 liters/day Ground Water ---- 0 liters/day Built Up Area ---- 150 (in sq. meter) CETP Membership ---- Wazirpur Industrial Pollution Control Co. / Membership No ---- 5182 Date of commissioning of project ---- 01.01.2008 Waste Water generation Domestic Effluent ---- 10 liters/day Trade Effluent ---- 0 liters/day ETP / STP ---- N/A Test Report(Water) within Limit ---- N/A Test Report(Air) within Limit ---- Yes NMR Sumitted ---- N/A
	Recommended for grant of consent to operate. 
	Issue consent to operate. 

	48
	36284  
	20-01-11
	ALKARMA
	57, NAJAFGARH ROAD INDUSTRIAL AREA
	Najafgarh Road Industrial Area
	Orange Renewal
	ENGINEERING WORK WITH ANODIZING AND PHOSPHATING
	Pending
	 
	16-03-2011 : CTE : Not Applied Water Consumption ---- 7000 liters/day Ground Water ---- 0 liters/day Built Up Area ---- (in sq. meter) CETP Membership ---- Kirti Nagar, DLF & Najafgarh Road Industrial Area CETP Society / Membership No ---- 1707 Date of commissioning of project : 1973 Waste Water generation Domestic Effluent ---- 2000 liters/day Trade Effluent ---- 2000 liters/day ETP / STP ---- N/A Test Report(Water) within Limit ---- Yes Test Report(Air) within Limit ---- Yes NMR Sumitted ---- Yes ATR/Remarks: Earlier CTO issued valid upto 20.03.2004 vide consent order no 1887. CTO_R issued valid upto 22.06.2007 vide consent order no 11416. Applied for CTO_R on 12.07.2007 vide ID no 22368. Unit is also applied for fresh authorization under HWM Rules on 07.03.2011 vide ID no 0679. Letter issued to the unit on 21.07.2009. Unit submitted its reply on 27.07.2009 including Adequacy report of ETP, NMR of D.G set and Certificate of registration of CGWA. Earlier CMC Decision: Decision on 11.05.2009 Ask the unit to file full compliance of earlier CMC decision. Call on 24.06.2009. 
Decision on 24.06.2009 Ask the unit to file full compliance 
within 01 month. Call on 26.08.2009.
	Inspection be conducted.
	Inspection be conducted.

	49
	36287  
	21-01-11
	HANSRAJ & CO.
	69, NAJAFGARH ROAD INDUSTRIAL AREA
	Najafgarh Road Industrial Area
	Orange Renewal
	MFG OF GRINDIGN OF RUBBER OF PVC
	Pending
	 
	15-03-2011 : CTE : Not Applied Water Consumption ---- 100 liters/day Ground Water ---- 0 liters/day Built Up Area ---- 29.8 (in sq. meter) CETP Membership ---- Kirti Nagar, DLF & Najafgarh Road Industrial Area CETP Society / Membership No ---- 1477 Date of commissioning of project : 1998 Waste Water generation Domestic Effluent ---- 80 liters/day Trade Effluent ---- 0 liters/day ETP / STP ---- N/A Test Report(Water) within Limit ---- N/A Test Report(Air) within Limit ---- N/A NMR Sumitted ---- N/A ATR/Remarks: Applied for CTO_R on 24.09.2007 vide ID no 23604.
	Inspection be conducted.
	Inspection be conducted.

	50
	36292
	21-01-11
	ADDL. DIRECTOR OF EDUCATION (SPORTS)
	CHHATRASAL STADIUM, MODEL TOWN
	NC-NW
	Orange Operate
	 
	 
	 
	 
	File be put up administratively.
	Ask the unit to submit effluent analysis report with complete parameters from approved laboratory of DPCC. 

	51
	36293  
	21-01-11
	B.M. MOTORS
	A-45, PHASE-II, MANGOL PURI, INDUSTRIAL AREA
	Mangolpuri Industrial Area
	Orange Operate
	MFG. OF ELECTRICAL GOODS( CELLING FANS, GYSIERS AND EXHAUST FANS) WITH PHOSPHATING AND POWDER COATING.
	Pending
	 
	21-03-2011 : Earlier CMC Decision: 06.09.2010 Implement the CMCs decision dated 27.08.2010. ATR Remarks: As per the decision taken up by Competent Authority on 03.11.2010 ask the unit to submit bank guarantee of Rs. 50,000 each under Air & water Act and HWM Rules valid for one year. Letter was sent on 15.11.2010 and you have not submitted any reply in response of this letter CTE ---- CTE issued on 04.02.2009 and valid upto 03.12.2010 Vide C.No. 22218. Water Consumption ---- 1000 liters/day Ground Water ---- 0 liters/day Built Up Area ---- 400 (in sq. meter) CETP Membership ---- Mangolpuri Industrial Area Phase - I & II CETP Society / Membership No ---- 001242 Date of commissioning of project ---- 01.08.2010 Waste Water generation Domestic Effluent ---- 300 liters/day Trade Effluent ---- 0 liters/day ETP / STP ----Yes Test Report(Water) within Limit ---- Yes Test Report(Air) within Limit ---- N/A NMR Sumitted ---- Yes
	Decision taken on file be ratified. Issue reminder for submission of bank guarantee.
	Decision taken on file ratified. Issue reminder for submission of bank guarantee.

	52
	36299  
	21-01-11
	CELESTE
	A-12, WAZIRPUR INDUSTRIAL AREA
	Wazirpur Industrial Area
	Orange Operate
	MFG. OF CONFECTIONARY AND CHOCOLATES (WITHOUT TRADE EFFLUENT)
	Pending
	 
	21-03-2011 : Earlier CMC Decision: 21.12.2009 Issue Consent to Establish without trade effluent. Subsequently, inspection be conducted. CTE ---- CTE issued on 28.10.2010 and valid upto 27.01.2011 vide C.No. 22718 Water Consumption ---- 600 liters/day Ground Water ---- 0 liters/day Built Up Area ---- 110 (in sq. meter) CETP Membership ---- Wazirpur Industrial Pollution Control Co. / Membership No ---- 1159 Date of commissioning of project ---- 01.01.2010 Waste Water generation Domestic Effluent ---- 500 liters/day Trade Effluent ---- 0 liters/day ETP / STP ---- N/A Test Report(Water) within Limit ---- N/A Test Report(Air) within Limit ---- N/A NMR Sumitted ---- N/A
	Inspection be conducted.
	Inspection be conducted.

	53
	36300  
	21-01-11
	SHREE BHAGWATI DALL MILL
	C-9/2 LAWRENCE ROAD INDUSTRIAL AREA
	Lawrence Road Industrial Area
	Orange Renewal
	DALL MILL.
	Pending
	 
	18-03-2011 : CTE ---- Not Applied. Water Consumption ---- 350 liters/day Ground Water ---- 0 liters/day Built Up Area ---- 233 (in sq. meter) CETP Membership ---- Keshav Puram Industrial Area CETP Society / Membership No ---- 299 Date of commissioning of project ---- 01.01.1994 Waste Water generation Domestic Effluent ---- 150 liters/day Trade Effluent ---- 0 liters/day ETP / STP ---- N/A Test Report(Water) within Limit ---- N/A Test Report(Air) within Limit ---- Yes NMR Sumitted ---- N/A
	Recommended for grant of renewal of consent. 
	Issue renewal of consent. 

	54
	36301  
	21-01-11
	PRATAP METAL INDUSTRIES
	PLOR NO. A-136, WAZIRPUR INDUSTRIAL AREA
	Wazirpur Industrial Area
	Orange Operate
	MFG. OF S.S. UTENSILS AND PRESSURE COOKERS.
	Pending
	 
	18-03-2011 : Earlier CMC Decision: 14.06.2010 Issue renewal of consent and carry out the surprise inspection. CTE ---- CTE valid upto 28.07.2007. Water Consumption ---- 50 liters/day Ground Water ---- 0 liters/day Built Up Area ---- 1011 (in sq. meter) CETP Membership ---- Wazirpur Industrial Pollution Control Co. / Membership No ---- 6257 Date of commissioning of project ---- 01.01.2002 Waste Water generation Domestic Effluent ---- 20 liters/day Trade Effluent ---- 0 liters/day ETP / STP ---- N/A Test Report(Water) within Limit ---- N/A Test Report(Air) within Limit ---- Yes NMR Sumitted ---- N/A
	Earlier, the unit has submitted the affidavit for stopping the buffing activity and also submitted bank guarantee of Rs. 50,000 under Air Act valid for one year. Subsequently, closure directions were revoked. The unit has again applied for consent to operate for the buffing activity in deceptive manner. In view of the aforesaid facts, the consent to establish applied under orange category on 20.06.2008 stands infructuous. Ask the unit to submit Bank Guarantee of Rs. 1 Lakh under Air Act valid for one year and to apply afresh for consent to establish under orange category and to surrender the original consent under Green category.
	The consent to establish applied under orange category on 20.06.2008 be made infructuous. Ask the unit to submit Bank Guarantee of Rs. 1 Lakh under Air Act valid for one year and to apply afresh for consent to establish under orange category and to revoke the consent under Green category.

	55
	36304  
	24-01-11
	CARLOS ELEC. INDUSTRIES
	54 C/7 (RAMA ROAD) NAJAFGARH ROAD INDUSTRIAL AREA
	Najafgarh Road Industrial Area
	Orange Renewal
	MFG OF CAPACITORS
	Pending
	 
	15-03-2011 : CTE : Issued valid upto 04.01.2007 vide consent order no 17159. Water Consumption ---- 100 liters/day Ground Water ---- 0 liters/day Built Up Area ---- 90 (in sq. meter) CETP Membership ---- Kirti Nagar, DLF & Najafgarh Road Industrial Area CETP Society / Membership No ---- 2360 Date of commissioning of project : 2007 Waste Water generation Domestic Effluent ---- 70 liters/day Trade Effluent ---- 0 liters/day ETP / STP ---- N/A Test Report(Water) within Limit ---- N/A Test Report(Air) within Limit ---- N/A NMR Sumitted ---- Yes ATR/Remarks: CTO Issued valid upto 29.01.2011 vide consent order no 20223
	Recommended for grant of renewal of consent. 
	Issue renewal of consent. 

	56
	36307  
	24-01-11
	KHERA MOTORS
	H-1381, NARELA INDUSTRIAL AREA
	Narela Industrial Area
	Orange Operate
	MFG. OF PLASTIC DANA.
	Pending
	 
	21-03-2011 : Earlier CMC Decision: 23.03.2010 Issue renewal of consent. ATR Remarks: As per the decision taken up by Competent Authority Revocation of closure directions u/s 31 (A) of the Air Act was sent on 06.12.2010. CTE ---- CTE issued on 29.10.2002 and valid upto 07.10.2003 Vide C.No. 1621 Water Consumption ---- 60 liters/day Ground Water ---- 0 liters/day Built Up Area ---- 210 (in sq. meter) CETP Membership ---- Not Applicable Date of commissioning of project ---- 01-01-2001 Waste Water generation Domestic Effluent ---- 30 liters/day Trade Effluent ---- 0 liters/day ETP / STP ---- N/A Test Report(Water) within Limit ---- N/A Test Report(Air) within Limit ---- N/A NMR Sumitted ---- N/A
	Ask the unit to submit stack monitoring report with complete parameters from approved laboratory of DPCC and to submit the proof of CETP membership.
	Ask the unit to submit stack monitoring report with complete parameters from approved laboratory of DPCC and to submit the proof of CETP membership.

	57
	36311
	25-01-11
	LORD KRISHNA ELECTRONIC INDUSTRIES
	K-83, SECTOR-1, DSIDC
	BAWANA INDUSTRIAL AREA
	Orange Operate
	Mfg. of all ype of bulbs and electrical Goods.
	pending
	 
	BUA: 250 sq. m
Water consumption: 350 lpd
Trade Effluent: Nil
Domestic effluent :250 lpd
Year of estd : 2010
DG Set : Nil
CTE granted on 26.03.2010
	Implement the decision of CMC(Orange) dated 16.03.2011.
	Implement the decision of CMC(Orange) dated 16.03.2011.

	58
	36312  
	25-01-11
	WENGER & CO
	A-16, CONNAUGHT PLACE
	CENTRAL
	Orange Renewal
	BACKERY AND CONFECTIONERY.
	Pending
	 
	22-03-2011 : CTE ---- CTE issued on 22.09.2008 and valid upto 21.09.2009 Vide C.No. 18851 Water Consumption ---- 4200 liters/day Ground Water ---- 0 liters/day Built Up Area ---- 90 (in sq. meter) CETP Membership ---- N/A Date of commissioning of project ---- 01.01.1926 Waste Water generation Domestic Effluent ---- 1200 liters/day Trade Effluent ---- 1300 liters/day ETP / STP ---- No Test Report(Water) within Limit ---- No Test Report(Air) within Limit ---- No NMR Sumitted ---- Yes
	Ask the unit to submit valid Delhi Police licence. Inspection may also be conducted. 
	Ask the unit to submit valid Delhi Police licence. Inspection may also be conducted. 

	59
	36314  
	25-01-11
	SUSHIL PLASTIC INDUSTRIES.
	PLOT NO-98,POCKET-C,SECTOR-1,DSIDC BAWANA INDUSTRIAL AREA
	Bawana Industrial Area
	Orange Operate
	Mfg. of PVC Dana and PVC Footwears (w/o Reprocess)
	Pending
	 
	18-03-2011 : CTE ---- expired on 28.10.2010 Water Consumption ---- 150 liters/day Ground Water ---- 0 liters/day Built Up Area ---- 100 (in sq. meter) CETP Membership ---- Not Applicable Date of commissioning of project ---- April 2010 Waste Water generation Domestic Effluent ---- 50 liters/day Trade Effluent ---- 0 liters/day ETP / STP ---- N/A Test Report(Water) within Limit ---- N/A Test Report(Air) within Limit ---- N/A NMR Sumitted ---- N/A
	Recommended for grant of consent to operate. 
	Issue consent to operate. 

	60
	36318  
	25-01-11
	ELECTRO PRODUCTS (INDIA)
	PLOT NO.245,POCKET-M, SEC-5, DSIDC, INDUSTRIAL COMPLEX, BAWANA
	Bawana Industrial Area
	Orange Renewal
	Mfg. of Copper Wire and Manufacturing of PVC Wire and Cables.
	Pending
	 
	09-03-2011 : CTE ---- yes on 18.08.2005 Water Consumption ---- 100 liters/day Ground Water ---- 100 liters/day Built Up Area ---- 200 (in sq. meter) CETP Membership ---- Not Applicable Date of commissioning of project ---- July 2005 Waste Water generation Domestic Effluent ---- 50 liters/day Trade Effluent ---- 0 liters/day ETP / STP ---- N/A Test Report(Water) within Limit ---- N/A Test Report(Air) within Limit ---- N/A NMR Sumitted ---- N/A
	Ask the unit to apply for authorization under HWM Rules. Inform to DJB regading ground water extraction. 
	Ask the unit to apply for authorization under HWM Rules. Inform to DJB regading ground water extraction. 

	61
	36319  
	25-01-11
	BATRA PLASTIC INDUSTRIES
	PLOT NO 75, POCKET-L, SECTOR-5, DSIDC BAWANA INDUSTRIAL AREA
	Bawana Industrial Area
	Orange Operate
	Mfg. of Auto Parts with Injection Moulding.
	Pending
	 
	17-03-2011 : CTE ---- yes issued on 28.01.2010 Water Consumption ---- 600 liters/day Ground Water ---- 0 liters/day Built Up Area ---- 80 (in sq. meter) CETP Membership ---- Not Applicable Date of commissioning of project ---- 2010 Waste Water generation Domestic Effluent ---- 50 liters/day Trade Effluent ---- 0 liters/day ETP / STP ---- N/A Test Report(Water) within Limit ---- N/A Test Report(Air) within Limit ---- N/A NMR Sumitted ---- N/A
	Recommended for grant of consent to operate. 
	Issue consent to operate. 

	62
	36323  
	25-01-11
	PARADISE INDUSTRIES
	A-7, G.F. MAYAPURI INDL. AREA PH-II,
	Mayapuri Industrial Area
	Orange Operate
	ELECTICL CONTANCT POINTS RIVETS
	Pending
	 
	15-03-2011 : CTE : Issued valid upto 25.04.2011 vide consent order no 23448. Water Consumption ---- 500 liters/day Ground Water ---- 0 liters/day Built Up Area ---- 540 (in sq. meter) CETP Membership ---- Mayapuri Industrial Area CETP Society / Membership No ---- 12238 Date of commissioning of project : April 2010 Waste Water generation Domestic Effluent ---- 240 liters/day Trade Effluent ---- 200 liters/day ETP / STP ---- Yes Test Report(Water) within Limit ---- Yes Test Report(Air) within Limit ---- N/A NMR Sumitted ---- Yes, ATR/Remarks: Unit is also apply for fresh authorization under HWM Rules on 25.01.2011 vide ID no 0637. SCN issued on 15.12.2010. Unit submitted its reply on 23.12.2010 and stated that they will submit adequacy report of ETP and NMR of D.G. Set. (slip enclosed) Earlier CMC Decision Decision on 16.03.2010 Issue consent to establish. Subsquently, inspection be conducted for check the phosphating activity. Decision on 09.11.2010 Issue SCN u/s 31(A) of the Air Act for closure of the unit. Case link with SCN cases.
	Recommended for grant of consent to operate and authorization under HWM Rules.
	Ask the unit to submit bank guarantee of Rs. 50,000 under Water Act valid for one year. If unit submits the bank guarantee, consent to operate and authorization under HWM Rules be issued.  

	63
	36334  
	27-01-11
	DELHI SECURITY PRINTERS
	G-13, UDYOG NAGAR INDUSTRIAL AREA
	Udyog Nagar Industrial area
	Orange Renewal
	OFFSET PRINTING WITHOUT TRADE EFFLUENT
	Pending
	 
	15-03-2011 : CTE: Issued valid upto 06.09.2011 vide consent order no 25438. Water Consumption ---- 300 liters/day Ground Water ---- 0 liters/day Built Up Area ---- 278 (in sq. meter) CETP Membership ---- DSIDC Industrial Estate, Nangloi & Udyog Nagar Industrial Area CETP Society / Membership No ---- 1 Date of commissioning of project : 2001 Waste Water generation Domestic Effluent ---- 200 liters/day Trade Effluent ---- 0 liters/day ETP / STP ---- N/A Test Report(Water) within Limit ---- N/A Test Report(Air) within Limit ---- N/A NMR Sumitted ---- Yes ATR/Remarks: CTO Issued valid upto 12.06.2007 vide consent order no 6652 under Green category in the same activity. Applied for CTO_R on 28.01.2008 vide ID no 24834 under Orange category. Unit is also apply for fresh authorization under HWM Rules on 27.01.2011 vide ID no 0638.
	Inspection be conducted to check the plate making activity.
	Inspection be conducted to check the plate making activity.

	64
	36344  
	31-01-11
	DINETTE HOME PRODUCTS
	A-48/1, PH-I, MAYAPURI INDUSTRIAL AREA
	Mayapuri Industrial Area
	Orange Operate
	MFG OF STEEL AND PLASTIC KITCHENWARE ITEM
	Pending
	 
	15-03-2011 : CTE : Issued valid upto 30.01.2007 vide consent order no 13707. Water Consumption ---- 200 liters/day Ground Water ---- 0 liters/day Built Up Area ---- 150 (in sq.yards) CETP Membership ---- Mayapuri Industrial Area CETP Society / Membership No ---- 12025 Date of commissioning of project : 2006 Waste Water generation Domestic Effluent ---- 150 liters/day Trade Effluent ---- 0 liters/day ETP / STP ---- N/A Test Report(Water) within Limit ---- N/A Test Report(Air) within Limit ---- N/A NMR Sumitted ---- N/A ATR/Remarks: Applied for CTO on 16.01.2007 vide ID no 20455.
	Inspection be conducted to ascertain the buffing activity. 
	Inspection be conducted to ascertain the buffing activity. 

	65
	36348  
	31-01-11
	NARESH KUMAR SUNIL KUMAR
	D-1519, NARELA INDUSTRIAL AREA
	Narela Industrial Area
	Orange Renewal
	FLOUR MILL.
	Pending
	 
	17-03-2011 : CTE ---- CTE issued on 28.03.2003 and valid upto 11.03.2004 Vide C.No. 3646. Water Consumption ---- 500 liters/day Ground Water ---- 0 liters/day Built Up Area ---- 350 (in sq. meter) CETP Membership ---- Not Applicable Date of commissioning of project ---- 01-01-2004 Waste Water generation Domestic Effluent ---- 350 liters/day Trade Effluent ---- 0 liters/day ETP / STP ---- N/A Test Report(Water) within Limit ---- N/A Test Report(Air) within Limit ---- Yes NMR Sumitted ---- N/A
	Ask the unit to submit proper CA certificate and the balance consent fee if warranted in view of capital investment. Also ask the unit to submit the proof of CETP membership..  
	Ask the unit to submit proper CA certificate and the balance consent fee if warranted in view of capital investment. Also ask the unit to submit the proof of CETP membership..  

	66
	36350  
	31-01-11
	MAHA GAURI STEEL
	A-14, GROUP WAZIRPUR INDUSTRIAL AREA
	Wazirpur Industrial Area
	Orange Operate
	MFG. OF STAINLESS STEEL KITCHEN UTENSILS (WITH BUFFING).
	Pending
	 
	28-03-2011 : Earlier CMC Decision: 12.05.2010 Ask the unit to submit bank guarantee of Rs 50,000 under Air Act valid for one year in view of hiding the buffing activity while seeking consent under green category. If unit submit the bank guarantee, consent to establish will be issued. ATR remarks: Letter was sent on 18.06.2010 and you have not submitted any reply in response of this letter. CTE ---- CTE applied on 07.07.2009 Vide Id.no. 30605. Water Consumption ---- 200 liters/day Ground Water ---- 200 liters/day Built Up Area ---- 60 (in sq. meter) CETP Membership ---- Wazirpur Industrial Pollution Control Co. / Membership No ---- 6811 Date of commissioning of project ---- 01-01-2008 Waste Water generation Domestic Effluent ---- 65 liters/day Trade Effluent ---- 0 liters/day ETP / STP ---- N/A Test Report(Water) within Limit ---- N/A Test Report(Air) within Limit ---- Yes NMR Sumitted ---- N/A
	Issue reminder for submission of Bank Guarantee asked earlier. Inform to DJB regading ground water extraction. 
	Issue reminder for submission of Bank Guarantee asked earlier. Inform to DJB regading ground water extraction. 

	67
	36351  
	31-01-11
	MODERN DAL MILL
	PLOT NO.3177,POCKET -J, NARELA INDUSTRIAL AREA
	Narela Industrial Area
	Orange Operate
	DALL MILL.
	Pending
	 
	18-03-2011 : CTE ---- CTE issued on 27.09.2006 and valid upto 26.09.2007 Vide C.No.17093. Water Consumption ---- 200 liters/day Ground Water ---- 0 liters/day Built Up Area ---- 250 (in sq. meter) CETP Membership ---- Not Applicable Date of commissioning of project ---- 01-01-2005 Waste Water generation Domestic Effluent ---- 160 liters/day Trade Effluent ---- 0 liters/day ETP / STP ---- N/A Test Report(Water) within Limit ---- N/A Test Report(Air) within Limit ---- Yes NMR Sumitted ---- N/A
	Ask the unit to submit proper CA certificate and the balance consent fee if warranted in view of capital investment.  Also ask the unit to submit the proof of CETP membership..  
	Ask the unit to submit proper CA certificate and the balance consent fee if warranted in view of capital investment.  Also ask the unit to submit the proof of CETP membership..  

	68
	36352  
	31-01-11
	SUN BEAM FOOD PRODUCTS COMPANY
	B-63, LAWRENCE ROAD INDUSTRIAL AREA
	Lawrence Road Industrial Area
	Orange Renewal
	DALL MILL.
	Pending
	 
	17-03-2011 : CTE ---- Not Applied. Water Consumption ---- 450 liters/day Ground Water ---- 0 liters/day Built Up Area ---- 480 (in sq. meter) CETP Membership ---- North West Industrial Federation CETP Society / Membership No ---- 290 Date of commissioning of project ---- 01.01.1984 Waste Water generation Domestic Effluent ---- 200 liters/day Trade Effluent ---- 0 liters/day ETP / STP ---- N/A Test Report(Water) within Limit ---- N/A Test Report(Air) within Limit ---- Yes NMR Sumitted ---- N/A
	Recommended for grant of renewal of consent. 
	Issue renewal of consent. 

	69
	36357  
	31-01-11
	R.P. INDUSTRIES
	8/30, KIRTI NAGAR INDUSTRIAL AREA
	Kirti Nagar Industrial Area
	Orange Renewal
	MFG OF PLASTIC GRANULES
	Pending
	 
	16-03-2011 : CTE : Not Applied Water Consumption ---- 200 liters/day Ground Water ---- 0 liters/day Built Up Area ---- 350 (in sq. meter) CETP Membership ---- Kirti Nagar, DLF & Najafgarh Road Industrial Area CETP Society / Membership No ---- 1 Date of commissioning of project : 1994 Waste Water generation Domestic Effluent ---- 150 liters/day Trade Effluent ---- 0 liters/day ETP / STP ---- N/A Test Report(Water) within Limit ---- N/A Test Report(Air) within Limit ---- N/A NMR Sumitted ---- Yes ATR/Remarks: CTO Issued valid upto 13.10.2007 vide consent order no 11932. Applied for CTO_R on 24.10.2007 vide ID no 24011.
	Recommended for grant of renewal of consent. 
	Issue renewal of consent. 

	70
	36360  
	31-01-11
	TANUJ PROCESS
	A-21/27 NARAINA INDUSTRIAL AREA PHASE - II
	Naraina Industrial Area Phase - II
	Orange Operate
	OFFSET PRINTING WITHOUT TRADE EFFLUENT
	Pending
	 
	15-03-2011 : CTE : Issued valid upto 07.06.2011 vide consent order no 24116. Water Consumption ---- 200 liters/day Ground Water ---- 0 liters/day Built Up Area ---- 100 (in sq. meter) CETP Membership ---- Naraina Industrial Area CETP Society / Membership No ---- 1617 Date of commissioning of project : 2005 Waste Water generation Domestic Effluent ---- 150 liters/day Trade Effluent ---- 0 liters/day ETP / STP ---- N/A Test Report(Water) within Limit ---- N/A Test Report(Air) within Limit ---- N/A NMR Sumitted ---- N/A ATR/Remarks: CTO cancelled on 08.12.2008 vide canclled no 66 under Green category. Letter issued to the unit on 14.06.2010.
	Recommended for grant of consent to operate. 
	Issue consent to opeate. Ask the unit to apply fresh authorization under HWM Rules. 

	71
	36366  
	31-01-11
	WELBECK PHARMACEUTIALS PVT. LTD.
	D-10/5, PHASE-II, OKHLA INDUSTRIAL AREA
	Okhla Industrial Area
	Orange Operate
	FORMULATION OF MEDICINES.
	Pending
	 
	10-02-2011 : CTE ---- issued valid upto 3.06.11 Water Consumption ---- 700 liters/day on application form and 500 liters/day on affidavit Ground Water ---- 0 liters/day Built Up Area ---- 128 (in sq. meter) CETP Membership ---- Okhla Industrial Area CETP Society / Membership No - --- 2811 Date of commissioning of project ---- Waste Water generation Domestic Effluent ---- 200 liters/day on application form and 100 liters/day on affidavit Trade Effluent ---- 500 liters/day on application form and 200 liters/day on affidavit ETP / STP ---- ETP Test Report(Water) within Limit ---- Yes (Excpt Phosphates (as P)) Test Report(Air) within Limit ---- N/A NMR Sumitted ---- N/A D G set : Nil Adequacy report submitted dated 16.11.10 and test report submitted dated 16.11.10 but there is no information about Phosphates CTE issued valid upto 3.06.11 vide CNO 23979. HWM authorization applied on 25.02.11 vd ID 0667.
	Ask the unit to submit effluent analysis report with complete parameters including phosphate from approved laboratory of DPCC. If  unit submits the aforesaid documents, consent to operate and authorization under HWM Rules be issued.
	Ask the unit to submit effluent analysis report with complete parameters including phosphate from approved laboratory of DPCC. If  unit submits the aforesaid documents, consent to operate and authorization under HWM Rules be issued.

	72
	36367  
	01-02-11
	PARKLAND HOSPITALITY LTD. PARKLAND RETREAT
	KH. NO 83,84,90,91/1-2,100/1-2,101,102,VILLAGE SATBARI,CHATTARPUR MANDIR MARG
	SOUTH
	Orange Operate
	MOTEL for 49 Rooms
	Pending
	 
	09-03-2011 : CTE ---- applied on 31.01.11 Water Consumption ---- 70000 liters/day Ground Water ---- 0 liters/day Built Up Area ---- 4319.72 (in sq. meter) CETP Membership ---- N/A Date of commissioning of project ---- existing July 2010 Waste Water generation Domestic Effluent ---- 15000 liters/day Trade Effluent ---- 35000 liters/day ETP / STP ---- STP installed Test Report(Water) within Limit ---- Yes Test Report(Air) within Limit ---- Yes Test Report(Air) within Limit ---- Yes Test Report(Air) within Limit ---- Yes NMR Sumitted ---- Yes NMR Sumitted ---- Yes Adequacy Reportsubmitted dated on 17.12.10 and test report dated 17.12.10 DG set : 500 KVA and 550 KVA and NMR Sumitted dated 14.12.10 Unit have 2 boiler and SMR submitted dated 15.12.10 CTE applied on 31.01.11 vd ID 36340.
	Decision taken by Scrutinizing Committee meeting dated 21.03.2011 be reviewed regarding inspection. Recommended for grant of consent in view of the adequacy report and effluent analysis report with consent to operate application. 
	Decision taken by Scrutinizing Committee meeting dated 21.03.2011 reviewed regarding inspection. Issue consent to operate in view of the adequacy report and effluent analysis report with consent to operate application. 

	73
	36368  
	01-02-11
	HOTAL ALKA
	P-16, CONNOUGHT CIRCUS
	NEW DELHI
	Orange Operate
	RESTAURANT SERVICES.
	Pending
	 
	17-03-2011 : Earlier CMC Decision: 09.11.2010 issue SCN u/s 33 (A) of the water Act for closure of the unit. ATR remarks: SCN was sent on 28.12.2010 and in response of this letter reply was received on 18.01.2011. CTE ---- CTE applied on 05.02.2009 Vide Id.no. 28898. Water Consumption ---- 4000 liters/day Ground Water ---- 0 liters/day Built Up Area ---- 3302 (in sq. meter) CETP Membership ---- N/A Date of commissioning of project ---- 01.12.2008 Waste Water generation Domestic Effluent ---- 500 liters/day Trade Effluent ---- 3500 liters/day ETP / STP ---- Yes Test Report(Water) within Limit ---- Yes Test Report(Air) within Limit ---- No NMR Sumitted ---- Yes
	Ask the unit to submit Bank Guarantee of Rs. 50,000 under Water Act valid for one year and to submit stack monitoring report of boiler from approved laboratory of DPCC. 
	Ask the unit to submit Bank Guarantee of Rs. 50,000 under Water Act valid for one year and to submit stack monitoring report of boiler from approved laboratory of DPCC. If unit submits the aforesaid documents, consent to operate be issued. 

	74
	36371  
	01-02-11
	POOJA INDUSTREIS
	B-11, DSIDC COMPLEX, MANGOLPURI INDUSTRIAL AREA PH-I
	Mangolpuri Industrial Area
	Orange Renewal
	PLASTIC MOULDED ITEMS.
	Pending
	 
	18-03-2011 : Earlier CMC Decision: 25.11.2010 Issue SCN for closure u/s 31 (A) of Air Act. ATR REmarks: SCN for closure u/s 31 (A) of Air Act was sent on 08.03.2011 and you have not submitted any reply in response of this letter. CTE ---- CTE issued on 11.06.2003 and valid upto 02.06.2004 Vide C.No. 5481. Water Consumption ---- 200 liters/day Ground Water ---- 0 liters/day Built Up Area ---- 60 (in sq. meter) CETP Membership ---- Mangolpuri Industrial Area Phase - I & II CETP Society / Membership No ---- 3595 Date of commissioning of project ---- 01.01.2003 Waste Water generation Domestic Effluent ---- 100 liters/day Trade Effluent ---- 0 liters/day ETP / STP ---- N/A Test Report(Water) within Limit ---- N/A Test Report(Air) within Limit ---- N/A NMR Sumitted ---- N/A
	Decision taken on file regarding issuance of the SCN u/s 31(A) of the Air Act be ratified. Further, the unit has not responded to the aforesaid notice, therefore, directions for closure be confirmed. During Scrutinizing Committee, the concerned Chartered Accountant Sh. Rajesh Gupta was contacted telephonically regarding authenticity of C.A. Certificate which was not bearing any stamp of the CA. Sh. Gupta confirmed that he has not issued any certificate to the unit under consideration. A letter be issued to the C.A for confirmation of the fact with a copy to unit so that further action as per law may be initiated.
	Decision taken on file regarding issuance of the SCN u/s 31(A) of the Air Act ratified. Further, the unit has not responded to the aforesaid notice, therefore, directions for closure confirmed. A letter be issued to the C.A for confirmation of the fact with a copy to unit so that further action as per law may be initiated.

	75
	36381  
	02-02-11
	AESTHETICS
	D-74, PHASE-I, OKHLA INDUSTRIAL AREA
	Okhla Industrial Area
	Orange Operate
	MFG. OF READYMADE GARMENT WITH WASHING.
	Pending
	 
	07-03-2011 : CTE ---- issued on 23.10.09 Water Consumption ---- 6000 liters/day Ground Water ---- 0 liters/day Built Up Area ---- 603.84 (in sq. meter) CETP Membership ---- Okhla Industrial Area CETP Society / Membership No ---- 1016 Waste Water generation Domestic Effluent ---- 800 liters/day Trade Effluent ---- 5000 liters/day ETP / STP ---- ETP installed Test Report(Water) within Limit ---- Yes Test Report(Air) within Limit ---- N/A NMR Sumitted ---- Yes DG set : 63 KVA and NMR submitted dated 24.01.2011. Adequacy Report submitted dated July 2010 and test report submitted dated 24.01.11 CTE (Green) issued on 21.04.03 vd CNO 4047. CTO (Green) cancel on 23.12.09 vd Cancelation no 360. CTE(Orange) issued on 23.10.09 vd CNO 21556.
	Recommended for grant of consent to operate. 
	Issue consent to operate. 

	76
	36383  
	02-02-11
	A.V.K. PLAST
	6/13 KIRTI NAGAR INDUSTRIAL AREA
	Kirti Nagar Industrial Area
	Orange Operate
	PLASTIC GRANUALS
	Pending
	 
	03-03-2011 : CTE :Applied on 02.02.2011 vide ID no 36838. Water Consumption ---- 200 liters/day Ground Water ---- 0 liters/day Built Up Area ---- 240 (in sq. meter) CETP Membership ---- Kirti Nagar, DLF & Najafgarh Road Industrial Area CETP Society / Membership No ---- 8618 Date of commissioning of project : 2010 Waste Water generation Domestic Effluent ---- 100 liters/day Trade Effluent ---- 0 liters/day ETP / STP ---- N/A Test Report(Water) within Limit ---- N/A Test Report(Air) within Limit ---- N/A NMR Sumitted ---- N/A
	Recommended for grant of consent to operate. 
	Issue consent to operate. 

	77
	36385  
	02-02-11
	ESSKAY INDUSTRIES (INDIA)
	PLOT NO.-J-199, SECTOR-1, DSIDC BAWANA INDUSTRIAL AREA
	Bawana Industrial Area
	Orange Operate
	Mfg. of Plastic Grannuals and Products.
	Pending
	 
	04-03-2011 : CTE ---- no Water Consumption ---- 200 liters/day Ground Water ---- 0 liters/day Built Up Area ----120 (in sq. meter) CETP Membership ---- Not Applicable Date of commissioning of project ---- Waste Water generation Domestic Effluent ---- 100 liters/day Trade Effluent ---- 0 liters/day ETP / STP ---- N/A Test Report(Water) within Limit ---- N/A Test Report(Air) within Limit ---- N/A NMR Sumitted ---- N/A
	Recommended for grant of consent to operate. 
	Issue consent to operate. 

	78
	36386
	02-02-11
	ENKAY ELECTRICALS (INDIA) REGD.
	J-2949, DSIDC
	NARELA INDUSTRIAL AREA
	Orange Operate
	Mfg. of electrical Light fittings.
	 
	 
	ATR Remarks:

CTE ----  CTE Applied on 03.12.2010 Vide Id.No. 35822
Water Consumption ----100 liters/day
Ground Water ---- 0 liters/day
Built Up Area ---- 100 (in sq. meter)
CETP Membership ---- N/A
Date of commissioning of project ---- 01.12.2006
Waste Water generation 
  Domestic Effluent ---- 60liters/day
  Trade Effluent ---- Nil
ETP / STP ---- N/A
Test Report(Water) within Limit ---- N/A 
Test Report(Air) within Limit ---- N/A
NMR Sumitted ---- N/A
	Recommended for grant of consent to operate with the condition to submit the proof of CETP membership within 03 months.
	Ask the unit to submit the proof of CETP membership. If unit submits the aforesaid document, consent to operate be issued. 

	79
	36397  
	03-02-11
	MODERN TOOLS MFRS
	B-118, PH-I, MAYAPURI INDUSTRIAL AREA
	Mayapuri Industrial Area
	Orange Renewal
	MFG OF DRILLING AND TAPPING MACHINES
	Pending
	 
	15-03-2011 : CTE : Not applied Water Consumption ---- 1000 liters/day Ground Water ---- 0 liters/day Built Up Area ---- 303 (in sq. meter) CETP Membership ---- Mayapuri Industrial Area CETP Society / Membership No ---- 001418 Date of commissioning of project ----1970 Waste Water generation Domestic Effluent ---- 400 liters/day Trade Effluent ---- 0 liters/day ETP / STP ---- N/A Test Report(Water) within Limit ---- N/A Test Report(Air) within Limit ---- N/A NMR Sumitted ---- N/A ATR/Remarks: Earlier CTO_R Issued valid upto 01.01.2007 vide consent order no 9834. Applied for CTO_R on 31.01.2007 vide ID no 20546.
	Recommended for grant of renewal of consent. 
	Issue renewal of consent. 

	80
	36401  
	03-02-11
	BHOLA SHANKAR PLASTICS MOULDER
	T-2/160, PHASE I, MANGOLPURI INDUSTRIAL AREA
	Mangolpuri Industrial Area
	Orange Renewal
	MFG. OF PVC SHOES.
	Pending
	 
	21-03-2011 : CTE ---- Not Applied. Water Consumption ---- 60 liters/day Ground Water ---- 60 liters/day Built Up Area ---- 120 (in sq. meter) CETP Membership ---- Mangolpuri Industrial Area Phase - I & II CETP Society / Membership No ---- 144 Date of commissioning of project ---- 01-01-1988 Waste Water generation Domestic Effluent ---- 5 liters/day Trade Effluent ---- 0 liters/day ETP / STP ---- N/A Test Report(Water) within Limit ---- N/A Test Report(Air) within Limit ---- N/A NMR Sumitted ---- N/A
	Recommended for grant of renewal of consent. Inform to DJB regading ground water extraction. 
	Issue renewal of consent. Inform to DJB regading ground water extraction. 

	81
	36402  
	03-02-11
	KAY GEE PLASTIC.
	G-1089,DSIDC NARELA INDUSTRIAL AREA
	Narela Industrial Area
	Orange Operate
	MFG. OF PLASTIC DANA AND PLASTIC BAGS.
	Pending
	 
	17-03-2011 : Earlier CMC Decision: 09.09.2009 Issue Consent to Establish with the condition that the unit will comply with the provisions of The Delhi Degradable Plastic Bag Act, 2000 envisaging the minimum thickness of plastic bag as 40 micron and size as 8x 12. ATR remarks: CTE ---- CTE issued on 13.10.2009 and valid upto 12.10.2010 Vide C.No. 21467. Water Consumption ---- 175 liters/day Ground Water ---- 0 liters/day Built Up Area ---- 195 (in sq. meter) CETP Membership ---- Not Applicable Date of commissioning of project ---- 01-01-2009 Waste Water generation Domestic Effluent ---- 75 liters/day Trade Effluent ---- 0 liters/day ETP / STP ---- N/A Test Report(Water) within Limit ---- N/A Test Report(Air) within Limit ---- N/A NMR Sumitted ---- N/A
	Ask the unit to submit the fresh CA Certificate including the cost of land and building along with the balance consent fee as applicable on the basis of fresh CA Certificate. Also ask the unit to submit the proof of CETP membership..  
	Ask the unit to submit the fresh CA Certificate including the cost of land and building along with the balance consent fee as applicable on the basis of fresh CA Certificate. Also ask the unit to submit the proof of CETP membership..  

	82
	36403  
	03-02-11
	KRISHNA RANI
	T-5/239, PHASE-I, MANGOLPURI INDUSTRIAL AREA
	Mangolpuri Industrial Area
	Orange Renewal
	MFG. OF PVC FOOTWEAR AND REXENE MADE UPPERS.
	Pending
	 
	17-03-2011 : CTE ---- Not Applied. Water Consumption ---- 30 liters/day Ground Water ---- 0 liters/day Built Up Area ---- 120 (in sq. meter) CETP Membership ---- Mangolpuri Industrial Area Phase - I & II CETP Society / Membership No ---- 1 Date of commissioning of project ---- 01-01-2001 Waste Water generation Domestic Effluent ---- 5 liters/day Trade Effluent ---- 0 liters/day ETP / STP ---- N/A Test Report(Water) within Limit ---- N/A Test Report(Air) within Limit ---- N/A NMR Sumitted ---- N/A
	Ask the unit to submit the fresh CA Certificate including the cost of land and building along with the balance consent fee as applicable on the basis of fresh CA Certificate. 
	Ask the unit to submit the fresh CA Certificate including the cost of land and building along with the balance consent fee as applicable on the basis of fresh CA Certificate. 

	83
	36408  
	04-02-11
	AMRIK PLASTIC INDUSTRIES
	244, SEC-1, PKT-H, DSIDC COMPLEX BAWANA INDUSTRIAL AREA
	Bawana Industrial Area
	Orange Operate
	Manufacturing of Plastic Components with Injection Moulding and Spray Painting.
	Pending
	 
	04-03-2011 : CTE ---- yes on 21.03.2007 Water Consumption ---- 100 liters/day Ground Water ---- 50 liters/day Built Up Area ---- 150 (in sq. meter) CETP Membership ---- Not Applicable Date of commissioning of project ----09.10.2006 Waste Water generation Domestic Effluent ---- 100 liters/day Trade Effluent ---- 0 liters/day ETP / STP ---- N/A Test Report(Water) within Limit ---- N/A Test Report(Air) within Limit ---- N/A NMR Sumitted ---- N/A
	Ask the unit to apply for authorization under HWM Rules.  Inform to DJB regading ground water extraction. 
	Ask the unit to apply for authorization under HWM Rules.  Inform to DJB regading ground water extraction. 

	84
	36412  
	04-02-11
	BHARAT PRECISION INSTRUMENTS CO.
	114, SEC-2, POCKET-F, DSIDC, BAWANA INDUSTRIAL AREA
	Bawana Industrial Area
	Orange Operate
	Manufacturing of Water and oil meters with other allied items.
	Pending
	 
	04-03-2011 : CTE ---- yes 22.8.2006 Water Consumption ---- 2400 liters/day Ground Water ---- 0 liters/day Built Up Area ---- 150 (in sq. meter) CETP Membership ---- Not Applicable Date of commissioning of project ---- Feb 2007 Waste Water generation Domestic Effluent ---- 100 liters/day Trade Effluent ---- 0 liters/day ETP / STP ---- N/A Test Report(Water) within Limit ---- N/A Test Report(Air) within Limit ---- N/A NMR Sumitted ---- N/A
	Recommended for grant of consent to operate. 
	Issue consent to operate. 

	85
	36413  
	04-02-11
	SACHIN
	T-5/239 PH-I MANGOLPURI INDUSTRIAL AREA
	Mangolpuri Industrial Area
	Orange Renewal
	MFG. OF PVC FOOTWEAR AND REXENE MADE UPPERS.
	Pending
	 
	24-03-2011 : CTE ---- Not Applied. Water Consumption ---- 50 liters/day Ground Water ---- 0 liters/day Built Up Area ---- 120 (in sq. meter) CETP Membership ---- Mangolpuri Industrial Area Phase - I & II CETP Society / Membership No ---- 154 Date of commissioning of project ---- 01-01-2001 Waste Water generation Domestic Effluent ---- 25 liters/day Trade Effluent ---- 0 liters/day ETP / STP ---- N/A Test Report(Water) within Limit ---- N/A Test Report(Air) within Limit ---- N/A NMR Sumitted ---- N/A
	Ask the unit to submit proper CA certificate and the balance consent fee if warranted in view of capital investment.  
	Ask the unit to submit proper CA certificate and the balance consent fee if warranted in view of capital investment.  

	86
	36421  
	07-02-11
	NAMAN BUILDCON LTD (PACIFIC MALL)
	KHAYALA
	WEST
	Orange Operate
	COMMERCIAL CUM MULTIPLEX.
	Pending
	 
	16-03-2011 : CTE : Applied on 24.05.2007 vide ID no 21488. Water Consumption ---- 675000 liters/day Ground Water ---- 475000 liters/day Built Up Area ---- 33016 (in sq. meter) CETP Membership ---- N/A Date of commissioning of project ---- 18-05-2009 Waste Water generation Domestic Effluent ---- 200000 liters/day Trade Effluent ---- 224000 liters/day ETP / STP ----Yes Test Report(Water) within Limit ---- Yes Test Report(Air) within Limit ---- Yes NMR Sumitted ---- Yes Earlier CMC Decision: Decision on 24.11.08 An application was filed by one Sh. I.K. Thakur on behalf of DMRC seeking time from the committee. Unfortunately nobody from DMRC turned up. Since the unit is already under prosecution by the department, no further negotiation with the unit can take place. The unit was informed accordingly. Decision on 11.12.08 Nobody came for personal hearing from DMRC. PRosecution proceedings will be continued.Call on 14.01.09. Decision on 14.01.09 Call for personal hearing on 02.02.09 at 6.15 PM. Decision on 02.04.09 Call on 12.05.09. Decision on 12.06.09 SIT-II to inspect & report. 
Call on 05.08.09 Decision on 21.01.2010 Letter to the MOEF indicating the 
deficiencies found during inspection and quoting the letter for the 
monitoring from the regional office of MOEF. Further, comments 
regarding issuance of CTE may also be sought. Also communicate
the deficiencies to the unit for rectification.
	Status of the prosecution case be obtained from Legal Cell for discussion before CMC.  Inform to DJB regading ground water extraction. 
	Inspection be conducted. Inform to DJB regading ground water extraction. 

	87
	36422  
	07-02-11
	M.B. RUBBER INDUSTRIES
	B-48, PHASE-II, MAYAPURI INDUSTRIAL AREA
	Mayapuri Industrial Area
	Orange Operate
	MFG. OF PLASTIC PRODUCT AND PLASTIC DANA
	Pending
	 
	15-03-2011 : CTE : applied on 06.12.2010 vide ID no 35846. Water Consumption ---- 300 liters/day Ground Water ---- 0 liters/day Built Up Area ---- 111 (in sq. meter) CETP Membership ---- Mayapuri Industrial Area CETP Society / Membership No ---- 12154 Date of commissioning of project : 2011,jan Waste Water generation Domestic Effluent ---- 80 liters/day Trade Effluent ---- 0 liters/day ETP / STP ---- N/A Test Report(Water) within Limit ---- N/A Test Report(Air) within Limit ---- N/A NMR Sumitted ---- N/A Earlier CMC Decision Decision on 16.03.2011 Issue consent to establish without use of plastic scrap with the condition to provide hood & suction arrangement followed by a duct raised well above the roof levels (at least 2.0 meter above roof level) to channelize the process emissions.
	Recommended for grant of consent to operate. 
	Issue consent to operate. 

	88
	36423  
	07-02-11
	HOTEL IMPERIAL
	JANPATH
	NEW DELHI
	Orange Renewal
	HOTEL OPERATIONS.
	Pending
	 
	21-03-2011 : Earlier CMC Decision: 16.04.2010 Issue reminser. Inspection be conducted. CTE ---- Not Applied Water Consumption ---- 36000 liters/day Ground Water ---- 10000 liters/day Built Up Area ---- 28948.29 (in sq. meter) CETP Membership ---- N/A Date of commissioning of project ---- 01-01-1931 Waste Water generation Domestic Effluent ---- 10000 liters/day Trade Effluent ---- 100000 liters/day ETP / STP ---- Yes Test Report(Water) within Limit ---- Yes Test Report(Air) within Limit ---- N/A NMR Sumitted ---- Yes
	Ask the unit to take rectification measures for achieving the newly notified standards and submit the fresh effluent analysis report to substantiate the compliance from approved laboratory of DPCC. Also ask the unit to submit its time bound proposal for  installation of waste water treatment plant for treating the entire waste water generated and reuse of the treated water in cooling, toilet flushing, horticulture etc. so that water is conserved.  Inform to DJB regading ground water extraction. 
	Ask the unit to take rectification measures for achieving the newly notified standards and submit the fresh effluent analysis report to substantiate the compliance from approved laboratory of DPCC. Also ask the unit to submit its time bound proposal for  installation of waste water treatment plant for treating the entire waste water(sewage as well as trade effluent) generated and for reuse of the treated water in cooling, toilet flushing, horticulture etc. so that water is conserved.  Inform to DJB regading ground water extraction. 

	89
	36425  
	07-02-11
	S.K.P ENTERPRISES
	A-22A PHASE-II MAYAPURI INDUSTRIAL AREA
	Mayapuri Industrial Area
	Orange Operate
	Manufacturing of Polythene Bags and Plastic Goods.
	Pending
	 
	18-03-2011 : CTE : issued valid upto 25.04.2011 vide consent order no 23455. Water Consumption ---- 600 liters/day Ground Water ---- 0 liters/day Built Up Area ---- 200 (in sq. Yards) CETP Membership ---- Mayapuri Industrial Area CETP Society / Membership No ---- 002629 Date of commissioning of project : 2009 Waste Water generation Domestic Effluent ---- 100 liters/day Trade Effluent ---- 0 liters/day ETP / STP ---- N/A Test Report(Water) within Limit ---- N/A Test Report(Air) within Limit ---- N/A NMR Sumitted ---- N/A ATR/Remarks: SCN u/s 25/26 of Water Act, 1974 & u/s 21/22 of the Air Act issued to the unit on 15.12.2010. Earlier CMC Decision Decision on 09.11.2010 Issue SCN u/s 21/22 of the Air Act and u/s 25/26 of the Water Act to M/s S.K. P. Enterprises for not obtaining consent to operate.
	Recommended for grant of consent to operate with the condition that the unit will comply with the provisions of The Delhi Degradable Plastic Bag Act, 2000 envisaging the minimum thickness of plastic bag as 40 micron and size as 8" x 12".
	Put up in next CMC.

	90
	36428  
	08-02-11
	JAIN TRANSISTOR CABINET MFG. CO
	PLOT NO -202, SECTOR-1, POCKET-C DSIDC BAWANA INDUSTRIAL AREA
	Bawana Industrial Area
	Orange Operate
	MANUFACTURING OF PVC WIRES AND PLASTIC WORKS.
	Pending
	 
	04-03-2011 : CTE ---- yes 29.10.2009 Water Consumption ---- 150 liters/day Ground Water ---- 50 liters/day Built Up Area ---- 150 (in sq. meter) CETP Membership ---- Not Applicable Date of commissioning of project ---- 29.10.2009 Waste Water generation Domestic Effluent ---- 50 liters/day Trade Effluent ---- 0 liters/day ETP / STP ---- N/A Test Report(Water) within Limit ---- N/A Test Report(Air) within Limit ---- N/A NMR Sumitted ---- N/A
	Recommended for grant of consent to operate with the stipulations of MPD-2021 regarding number of workers and plot area. Inform to DJB regading ground water extraction. 
	Issue consent to operate with the stipulations of MPD-2021 regarding number of workers and plot area. Inform to DJB regading ground water extraction. 

	91
	36429  
	08-02-11
	SHREE RAM WORKS
	B-47/4, GROUP, IIIRD FLOOR, WAZIRPUR INDUSTRIAL AREA
	Wazirpur Industrial Area
	Orange Operate
	MFG. OF STAINLESS STEEL UTENSILS (WITH BUFFING).
	Pending
	 
	22-03-2011 : CTE ---- CTE issued on 25.02.2011 and valid upto 24.02.2012 Vide C.No. 26758. Water Consumption ---- 200 liters/day Ground Water ---- 0 liters/day Built Up Area ---- 200 (in sq. meter) CETP Membership ---- Wazirpur Industrial Pollution Control Co. / Membership No ---- 1267 Date of commissioning of project ---- 01.10.2010 Waste Water generation Domestic Effluent ---- 100 liters/day Trade Effluent ---- 0 liters/day ETP / STP ---- N/A Test Report(Water) within Limit ---- N/A Test Report(Air) within Limit ---- Yes NMR Sumitted ---- N/A
	Recommended for grant of consent to operate. 
	Issue consent to operate without pickling. 

	92
	36430  
	08-02-11
	SUBHASH KUMAR VINOD KUMAR
	B-74, WAZIRPUR INDUSTRIAL AREA
	Wazirpur Industrial Area
	Orange Operate
	MANUFACTURE OF STAIN STEEL SINK WITH BUFFING.
	Pending
	 
	23-03-2011 : Earlier CMC Decision: 25.11.2010 Issue Consent to establish. Subsequently, inspection be conducted. ATR Remarks: CTE ---- CTE issued on 18.01.2011 and valid upto 17.01.2012 Vide C.No. 26499. Water Consumption ---- 100 liters/day Ground Water ---- 0 liters/day Built Up Area ---- 400 (in sq. meter) CETP Membership ---- Wazirpur Industrial Pollution Control Co. / Membership No ---- 585 Date of commissioning of project ---- 01.12.2010 Waste Water generation Domestic Effluent ---- 50 liters/day Trade Effluent ---- 0 liters/day ETP / STP ---- N/A Test Report(Water) within Limit ---- N/A Test Report(Air) within Limit ---- Yes NMR Sumitted ---- N/A
	Inspection decided subsequent to grant of consent to establish be reviewed as the unit has applied for consent to operate along with the adequacy report and stack monitoring report. Recommended for grant of consent to operate. 
	Inspection decided subsequent to grant of consent to establish reviewed as the unit has applied for consent to operate along with the adequacy report and stack monitoring report. Issue consent to operate without pickling. 

	93
	36432  
	08-02-11
	ANUSHREE ACCEESSORIES
	PLOT NO- 307 F.I.E, PATPAR GANJ INDUSTRIAL AREA
	Patparganj Industrial Area
	Orange Operate
	Manufacturing of Ladies Accessories, Garments, Tents and shelters.
	Pending
	 
	09-03-2011 : CTE -Applied on 01.02.2011. Water Consumption ---- 100 liters/day Ground Water ---- 0 liters/day Built Up Area ---- 300 (in sq. meter) CETP Membership ---- Not Applicable Date of commissioning of project:Jan 2011. Waste Water generation Domestic Effluent ---- 50 liters/day Trade Effluent ---- 0 liters/day ETP / STP ---- N/A Test Report(Water) within Limit ---- N/A Test Report(Air) within Limit ---- N/A. D.G.SET: 20 KVA & 10 KVA. NMR Sumitted ---- Yes (26.10.2010)
	Recommended for grant of consent to operate. 
	Issue consent to operate. 

	94
	36433  
	08-02-11
	M.S. ENGINEERING WORKS
	PLOT NO 429/15-B, GALI NO 1, FRIENDS COLONY INDUSTRIAL AREA
	Friends Colony Industrial Area
	Orange Operate
	Mfg. OF PLASTIC INJECTION MOULDING ITEMS.
	Pending
	 
	08-03-2011 : CTE -Applied on 25.02.2009, Pending. Water Consumption ---- 150 liters/day Ground Water ---- 0 liters/day Built Up Area ---- 198 (in sq. meter) CETP Membership ---- Jhilmil & Friends Colony Industrial Area CETP Society / Membership No --002-11. Date of commissioning of project -2011. Waste Water generation Domestic Effluent ---- 30 liters/day Trade Effluent ---- 0 liters/day ETP / STP ---- N/A Test Report(Water) within Limit ---- N/A Test Report(Air) within Limit ---- N/A. D.G.Set: 125 KVA. NMR Sumitted -No.
	Ask the unit to submit noise monitoring report from approved laboratory of DPCC and Bank Guarantee of Rs. 50,000 each under Air Act and HWM Rules valid for one year. If unit submits the aforesaid documents, consent to operate, consent to establish and authorization be issued. 
	Ask the unit to submit noise monitoring report from approved laboratory of DPCC and Bank Guarantee of Rs. 50,000 each under Air Act and HWM Rules valid for one year. If unit submits the aforesaid documents, consent to operate, consent to establish and authorization be issued. 

	95
	36436
	08-02-11
	RASAH EXIM LIMITED
	E-49/10, PHASE-II
	OKHLA INDUSTRIAL AREA
	Orange Renewal
	SERVICE STATION OF BIKES.
	 
	  (In earlier CTO)
                   16.03.2009
Ask the unit to file permission from Central Ground Water Authority for extracting the ground water.  Call on 29.04.2009.
                     11.05.2009
Ask the unit to file affidavit stating that no ground water is tapped and submit documentary proof for taking municipal water. Call on 24.06.2009.
            24.06.09
Issue final reminder. Call on 26.08.2009
	CTE : issued on 05.04.06 
Water Consumption :3500 Lt/d
Waste Water generation : 
(a) Domestic effluent:400 Lt/d
(b) Trade effluent: 3000Lt/d
Date of Commissioning: 2007
ETP /STP: ETP installed
Test Report (Water) within limit : Yes
Test Report (Air) within limit :  N/A
NMR submitted : submitted dated 03.02.11
DG set : 25 KVA (on appication form and Affidavit) but NMR submitted of 30 KVA 
Adequacy report submited on 10.12.07
CTR applied on 7.3.2008
	Recommended for grant of renewal of consent and authorization under HWM Rules.
	Issue renewal of consent and authorization under HWM Rules.

	96
	36439  
	08-02-11
	BOUTIQUE GLOBAL
	D-80, PH-I, OKHLA INDUSTRIAL AREA
	Okhla Industrial Area
	Orange Operate
	MFG. OF READYMADE GARMENT WITH WASHING WITHOUT DEYING.
	Pending
	 
	15-03-2011 : Earlier CMC Decisions Decision on 11.05.2009 Consent application of M/s Classic Fashion has already been refused as it has been closed . M/s Boutique Global is existing at the premises which has applied for CTE on 4.12.07. Classic fashion be delisted. Ask the unit M/s Boutique Global to submit affidavit regarding installation of ETP & source of water, adequacy report of ETP from empanelled consultant of DPCC and NMR of D.G Set from approved laboratory of DPCC. Decision on 24.06.2009 Issue final reminder. Recommendations of Scrutinizing Committee on 13.10.2009 & 14.10.2009 Recommended for grant of Consent to Establish. Subsequently, inspection by Trainee, CMC be conducted. 20.10.09 Issue Consent to Establish. Subsequently, inspection by Trainee, CMC be conducted. 12.02.10/ 15.02.10 Issue SCN for refusal of consent and SCN u/s 5 of the EPA based on finding of inspection 07.05.10 Earlier decision dated 12.02.2010/15.02.2010 reviewed. Issue SCN for revocation of consent and SCN u/s 31(A) of the Air Act and u/s 33(A) of the Water Act. Remarks CTE ---- issued on 18.11.09 Water Consumption ---- 1000 liters/day on 
application form and 1000Litres/year on affidavit 
Ground Water ---- 0 liters/day Built Up Area ---- 444.81 (in sq. meter) 
CETP Membership ---- Okhla Industrial Area CETP Society /
 Membership No ---- 1 Date of commissioning of project ---- 2008
 Waste Water generation Domestic Effluent ---- 100 liters/day 
on application form and 200Litres/year on affidavit Trade 
Effluent ---- 800 liters/day ETP / STP ---- ETP installed 
Test Report(Water) within Limit ---- Yes Test Report(Air) 
within Limit ---- Yes NMR Sumitted ---- Yes NMR Sumitted ---- Yes 
DG set : 110 KVA and 75 KVA on application form and Affidavit 
and NMR submitted of 2x 110 KVA and 30 KVA dated 09.11.10 
Unit have 1 boiler and SMR submitted dated 13.12.10 Adequacy 
Report submitted dated January 2011 and test report submitted 
dated 10.11.10 CTE issued on 18.11.09 vd CNO 21906 
SCN for revocation of consent and SCN u/s 31(A) of the Air 
Act and u/s 33 (A) of the Water Act issued on 05.07.10 unit 
submitted its replt on 22.07.10. Letter issued to submit bank 
garantee on 19.08.10 Unit submitted bank garantee on 13.09.10
	Consent to Establish be revoked and ask the unit to apply afresh for Consent to Establish as the earlier Consent to Establish was obtained without showing the boiler. 
	Consent to Establish revoked and ask the unit to apply afresh for Consent to Establish under orange category as the earlier Consent to Establish was obtained without showing the boiler. 

	97
	36440
	09-02-11
	S.S. FOOD INDUSTRIES
	B-44
	LAWRENCE ROAD INDUSTRIAL AREA
	Orange Renewal
	Dall Milling
	Pending
	 
	ATR Remarks:

CTE ---- Not Applied
Water Consumption ---- 350 liters/day
Ground Water ---- 0 liters/day
Built Up Area ---- 300 (in sq. meter)
CETP Membership ---- Submitted
Date of commissioning of project ---- 01.01.1991
Waste Water generation 
  Domestic Effluent ---- 150liters/day
  Trade Effluent ---- Nil
ETP / STP ---- N/A
Test Report(Water) within Limit ---- N/A 
Test Report(Air) within Limit ---- Yes
NMR Sumitted ---- Yes
	Recommended for grant of renewal of consent. 
	Issue renewal of consent. 

	98
	36441  
	09-02-11
	TAJ SATS AIR CATERING LTD.
	IGI AIRPORT AUTHORITY COMPLEX
	SOUTH WEST
	Orange Renewal
	FLIGHT CATERING.
	Pending
	 
	17-03-2011 : CTE : Not Applied Water Consumption ---- 468000 liters/day Ground Water ---- 468000 liters/day Built Up Area ---- 10697 (in sq. meter) CETP Membership ---- N/A Date of commissioning of project : 1983 Waste Water generation Domestic Effluent ---- 15000 liters/day Trade Effluent ---- 180000 liters/day ETP / STP ----Yes Test Report(Water) within Limit ---- Yes Test Report(Air) within Limit ---- Yes NMR Sumitted ---- Yes NMR Sumitted ---- Yes NMR Sumitted ---- Yes ATR/Remarks- Earlier CTO & CTO_R issued valid upto 05.09.2007 vide consent order no 12347. CTO_R issued valid upto 10.02.2011 vide consent order no 24740. Earlier CMC Decision: Decision on 28.01.2009 The unit came for personal hearing today. It is drawing 460 KLD of water from ground without CGWA clearance. In South district, drawl of ground water is prohibited and unit must take CGWA clearance immediately. It must also install Rain Water Harvesting system properly which will be required for CGWA clearance. The unit is treating 200 KLD of waste water. 
The unit must use the treated waste water for the entire cooling 
requirement so that fresh water is conserved and treated waste water 
get optimally utilized. The unit must also install Solar Water Heating 
system and ensure use of CFL, BEE labeled equipments to 
conserve the energy. The unit may correct all these deficiencies 
by 31.03.2009. The unit should also submit the water mass balance 
chart. Call on 12.03.2009 for interim report. Issue the letter to the unit 
without waiting for the minutes. Decision on 12.03.2009 Ask the unit 
to ensure full compliance of CMC decisions to be done by 22.04.2009 
without fail. Call on 22.04.2009. Decision on 03.06.09 Unit should 
submit permission from DJB for ground water extraction as per new 
orders and compliance report for installation of Rain Water Harvesting 
System and Solar Water Heating System. Unit should finanlize and submit 
the full compliance report for all the points communicated to it. Call on 22.07.2009 
DECision on 16.03.2010 Issue reminder Decision of Scrutinizing Committee 
dated 18.05.2010 Recommended for grant of renewal of consent. Decision 
of CMC decision dated 26.05.2010 Put up in next CMC. Decision on 16.06.2010 
Issue consent to operate with a codnition to achieve 100 percentage recycling 
of the treated effluent within 1 year.
	Inspection be conducted.
	Inspection be conducted.

	99
	36444
	09-02-11
	KAWALITY PRODUCTS (INDIA)
	B-36, GROUP, GROUND FLOOR
	WAZIRPUR INDUSTRIAL AREA
	Orange Operate
	S.S containers
	Pending
	 
	ATR Remarks:

CTE ---- 07.09.2007 with id no 23416(pending)
Water Consumption ---- 200 liters/day
Ground Water ---- nil
Built Up Area ---- 100 (in sq. meter)
CETP Membership ---- N/A
Date of commissioning of project ---- Sep 2007
Waste Water generation 
  Domestic Effluent ---- 100 liters/day
  Trade Effluent ---- Nil
ETP / STP ---- N/A
Test Report(Water) within Limit ---- N/A 
Test Report(Air) within Limit ---- N/A 
NMR Sumitted ---- N/A
	Inspection be conducted.
	Inspection be conducted.

	100
	36445  
	09-02-11
	KEE GAD BIOGEN PRIVATE LIMITED
	THIRD FLOOR, A-8, NARAINA INDUSTRIAL AREA PHASE-II
	Naraina Industrial Area Phase - II
	Orange Operate
	MANUFACTURING REAGENTS AND DIAGNOSTICS KITS.
	Pending
	 
	15-03-2011 : CTE : Issued valid upto 07.09.2011 vide consent order no 25474. Water Consumption ---- 1100 liters/day Ground Water ---- 0 liters/day Built Up Area ---- 652.74 (in sq. meter) CETP Membership ---- Naraina Industrial Area CETP Society / Membership No ---- 1302 Date of commissioning of project : Nov, 2010 Waste Water generation Domestic Effluent ---- 550 liters/day Trade Effluent ---- 10000 liters/day ETP / STP ---- Yes Test Report(Water) within Limit ---- N/A Test Report(Air) within Limit ---- N/A NMR Sumitted ---- Yes ATR/Remarks: SCN issued, unit submitted reply on 09.06.2010 regarding rectification of deficiencies. Earlier CMC Decision: Decision on 21.12.2009 / 22.12.2009 Inspection be conducted to ascertain the mfg. process. 27.04.2010 Inspection done. Issue SCN for refusal of consent on the basis of deficiencies noted during the inspection. Decision on 13.08.2010 Issue consent to establish. Ask the unit to apply for consent to operate and authorization under HWM Rules. This case link with SCN cases.
	Ask the unit to submit effluent analysis report with complete parameters from approved laboratory of DPCC and to apply for authorization under HWM Rules.
	Ask the unit to submit effluent analysis report with complete parameters from approved laboratory of DPCC and to apply for authorization under HWM Rules.

	101
	36450  
	10-02-11
	ARCHIT CABLES
	PLOT NO.-3, SECTOR NO-5, POCKET NO.-E, DSIDC BAWANA INDUSTRIAL AREA
	Bawana Industrial Area
	Orange Operate
	WELDING CABLES AND HOSE PIPES
	Pending
	 
	04-03-2011 : CTE ---- yes 04.06.2010 Water Consumption ---- 200 liters/day Ground Water ---- 0 liters/day Built Up Area ---- 150 (in sq. meter) CETP Membership ---- Not Applicable Date of commissioning of project ---- 2009 Waste Water generation Domestic Effluent ---- 100 liters/day Trade Effluent ---- 0 liters/day ETP / STP ---- N/A Test Report(Water) within Limit ---- N/A Test Report(Air) within Limit ---- Yes NMR Sumitted ---- N/A
	Recommended for grant of consent to operate. 
	Issue consent to operate. 

	102
	36451  
	10-02-11
	SHAHI EXPORTS PVT. LTD
	PLOT NO-F88, PH-I OKHLA INDUSTRIAL AREA
	Okhla Industrial Area
	Orange Operate
	Mfg. of Ready Made Garments with Steam iron pressing W/o Trade effluent.
	Pending
	 
	22-03-2011 : Earlier CMC Decisions 61 th CMC (Green) Consent refused and link the file with orange category application of the unit. 16.03.10 Issue Consent to Establish. Remarks CTE ---- issued on 15.04.10 Water Consumption ---- 10000 liters/day Ground Water ---- 0 liters/day Built Up Area ---- 1924 (in sq. meter) CETP Membership ---- Okhla Industrial Area CETP Society / Membership No ---- 0.1 Date of commissioning of project ---- Waste Water generation Domestic Effluent ---- 7800 liters/day Trade Effluent ---- 0 liters/day ETP / STP ---- N/A Test Report(Water) within Limit ---- N/A Test Report(Air) within Limit ---- Yes Test Report(Air) within Limit ---- Yes NMR Sumitted ---- Yes DG set : 2x 250 KVA and 62.5 KVA and NMR submitted dated 03.01.11 Unit have 2 boilers and SMRs submitted dated 28.01.11. CTE (Green) issued on 16.06.08 vd CNO 18565. CTO (Green) refused on 08.03.10 vd Refusal no 1970. CTE(Orange) issued on 15.04.10 vd CNO 23259.
	Recommended for grant of consent to operate. 
	Issue consent to operate. 

	103
	36453  
	10-02-11
	BOUTIQUE INTERNATIONAL
	D-5/1, PHASE-II, OKHLA INDUSTRIAL AREA
	Okhla Industrial Area
	Orange Operate
	MFG. OF READYMADE GARMENTS.
	Pending
	 
	22-03-2011 : EARLIER CMC DECISION In CTO application: 16.03.2009 Call on 20.03.2009 20.03.2009 Ask the unit to apply for Consent to Establish, noise monitoring report of D.G. Set from approved laboratoires of DPCC and affidavit about source of water supply. Call on 29.04.2009. 11.05.2009 Issue final reminder for full compliance of earlier CMC decision. Call on 24.06.2009 24.06.2009 Issue SCN for refusal of consent. Call on 26.08.2009. In earlier CTE application dated 29.05.09: 12.05.10 Issue consent to establish. Subsequently, inspection be conducted. In earlier CTE application dated 19.08.10 25.11.10 Decision of CMC(Orange) dated 09.11.2010 regarding making the application infructuous reviewed and consent to establish be issued. Implement the decision regarding issuance of SCN u/s 21/22 of the Air Act and u/s 25/26 of the Water Act. Remarks CTE ---- issued on 17.01.2011 Water Consumption ---- 650 liters/day on application form and 6500 liters/year on affidavit Ground Water ---- 0 liters/day Built Up Area ---- 539.3 (in sq. meter) CETP Membership ---- 
Okhla Industrial Area CETP Society / Membership No - --- 1212 
Date of commissioning of project ---- 01.07.10 Waste Water generation 
Domestic Effluent ---- 500 liters/day on application form and 500 liters/year 
on affidavit Trade Effluent ---- 600 liters/day on application form and 6000 
liters/day on affidavit ETP / STP ---- ETP installed Test Report(Water) within 
Limit ---- Yes Test Report(Air) within Limit ---- N/A NMR Sumitted ---- Yes 
DG set : 250 KVA and 125 KVA and NMR submitted dated 01.02.11 
Adequacy Report submitted dated June 2006 and test report submitted 
dated 24.11.10. CTO applied on 21-06-2005 vd ID 14616. CTE issued 
on 11.06.10 vd CNO 24184. CTE issued on 17.01.2011 vd 
CNO 26479.
	Issue SCN for refusal of consent for not showing the boiler in consent application and non submission of stack monitoring report.
	Issue SCN for refusal of consent for not showing the boiler in consent application and non submission of stack monitoring report.

	104
	36459  
	10-02-11
	R.K CASTING WORKS.
	PLOT NO-171,SEC-5,POCKET-K,DSIDC BAWANA INDUSTRIAL AREA
	Bawana Industrial Area
	Orange Operate
	SMALL FOUNDRY PIT FURNACE
	Pending
	 
	18-03-2011 : CTE ---- expired on 17.02.2011 Water Consumption ---- 350 liters/day Ground Water ----350 liters/day Built Up Area ---- 90 (in sq. meter) CETP Membership ---- Not Applicable Date of commissioning of project ---- December 2010 Waste Water generation Domestic Effluent ---- 250 liters/day Trade Effluent ---- 0 liters/day Stack monitoring report submitted on 03.02.2011
	The case be linked with the file of SCN u/s 31(A) of the Air Act considered by the Scrutinizing Committee meeting dated 11.03.2011. Inform to DJB regading ground water extraction. 
	File be put up administratively.

	105
	36460  
	11-02-11
	JAY EM ENTERPRISES
	B-25, PH-I, MAYAPURI INDUSTRIAL AREA
	Mayapuri Industrial Area
	Orange Operate
	MFG OF SHEET METAL AND PLASTIC PARTS
	Pending
	 
	15-03-2011 : CTE : Issued on 17.02.2010 valied upto 16.02.2011 vide consent order no 22794 under Orange category. CTE : Issued valid upto 15.06.2009 vide consent order no 18560 under Green category. Water Consumption ---- 500 liters/day Ground Water ---- 0 liters/day Built Up Area ---- 90 (in sq. meter) CETP Membership ---- Mayapuri Industrial Area CETP Society / Membership No ---- 11738 Date of commissioning of project : Since 2010 Waste Water generation Domestic Effluent ---- 60 liters/day Trade Effluent ---- 0 liters/day ETP / STP ---- N/A Test Report(Water) within Limit ---- N/A Test Report(Air) within Limit ---- N/A NMR Sumitted ---- N/A ATR/Remarks: Earlier CTO_R issued valid upto 05.10.2006 vide consent order no 9042 under Orange category in the activity of plastic moulded items & sheet metal parts. CTO issued valid upto 09.05.2017 vide consent order no 20132 under Green category in the activity of Mfg. of sheet metals parts.
	Recommended for grant of consent to operate. 
	Issue consent to operate. 

	106
	36461
	11-02-11
	SPARTON SALES CORPORATION
	27, PHASE-III
	OKHLA INDUSTRIAL ESTATE
	Orange Renewal
	MFG OF TOYA AND GAMES PARTS OF ELECTRICAL AND ELECTRICAL AND ELETRONICS APPLIANCES GADGETS
	 
	 
	
CTE : issued 
Water Consumption :1300 L/d
Waste Water generation : 
(a) Domestic effluent:750 Lt/d
(b) Trade effluent: Nil
Date of Commissioning: 1979
ETP /STP:N/A
Test Report (Water) within limit : N/A
Test Report (Air) within limit :  N/A
NMR submitted : submitted
DG set : 2x 140 KVA and NMR submitted dated 18.01.11
CTR valid upto 08.6.06 vd CNO 6291..
CTR applied on 09.11.06 vd ID 19736.
CTE issued on 11.06.10 vd CNO 24203.
	Recommended for grant of renewal of consent. 
	Issue renewal of consent. 

	107
	36462
	11-02-11
	MITSUMI ELECTRONICS PVT. LTD
	27
	OKHLA INDUSTRIAL ESTATE
	Orange Renewal
	Mfg. of Des and moulds and injection molding of mixer--- Juicer, refrigerator, Washing machine, Air Conditioner, Energy meters etc parts
	 
	         12.05.10
Issue consent to establish without trade effluent discharge.
	
CTE : issued on 11.06.10
Water Consumption :2300Lt/d
Waste Water generation : 
(a) Domestic effluent:1000Lt/d
(b) Trade effluent: Nil
Date of Commissioning: 1987
ETP /STP:N/a
Test Report (Water) within limit : N/a
Test Report (Air) within limit :  N/a
NMR submitted : N/a
DG set : Nil
CTR valid upto 04.6.06 vd CNO 6292..
CTR applied on 09.11.06 vd ID 19737.
CTE issued on 11.06.10 vd CNO 24207.
	Issue SCN for refusal of consent as the activity / unit exist at Plot No 252 as per earlier record.
	Issue SCN for refusal of consent as the activity / unit exist at Plot No 252 as per earlier record.

	108
	36463  
	11-02-11
	BABU LAL RAJENDER KUMAR
	252, PHASE-III, OKHLA INDUSTRIAL ESTATE
	Okhla Industrial Estate
	Orange Renewal
	Mfg.of Parts of Electrical and Electronic appliances (Dies and Molds)
	Pending
	 
	07-03-2011 : Earlier CMC Decisions 12.05.10 Issue consent to establish with the condition to send the e-waste to authorized recycler. Subsequently, inspection be conducted. 09.11.10 Issue SCN u/s 21/22 of the Air Act and u/s 25/26 of the Water Act for not obtaining consent to operate. Inform to DJB regarding ground water extraction. Remarks CTE ---- issued on 11.06.10 Water Consumption ---- 1300 liters/day Ground Water ---- 0 liters/day Built Up Area ---- 509 (in sq. meter) CETP Membership ---- Okhla Industrial Estate CETP Society / Membership No ---- 2604 Date of commissioning of project ---- Waste Water generation Domestic Effluent ---- 750 liters/day Trade Effluent ---- 0 liters/day ETP / STP ---- N/A Test Report(Water) within Limit ---- N/A Test Report(Air) within Limit ---- N/A NMR Sumitted ---- Yes DG set : 140 KVA and NMR submitted dated 18.01.11 CTR issued valid upto 30.06.03 vd CNO 6290. CTR applied on 08.11.06 vd ID 19724. CTE issued on 11.06.10 vd CNO 24205.
	Recommended for grant of renewal of consent. 
	Issue renewal of consent. 

	109
	36464  
	11-02-11
	R.S.N. INDUSTRIES
	252, PH-III, OKHLA INDUSTRIAL ESTATE
	Okhla Industrial Estate
	Orange Renewal
	Mfg. of Dies and Moulds and injection molding of Mixer --- Juicer, Refrigerator, washing machine, air conditioner, energy meters etc parts.
	Pending
	 
	24-02-2011 : Earlier CMC Decisions 12.05.10 Issue consent to establish without trade effluent discharge. Subsequently, inspection be conducted to know the powder coating activity. 9.11.10 Issue SCN u/s 21/22 of the Air Act and u/s 25/26 of the Water Act for not obtaining consent to operate. Inform to DJB regarding ground water extraction. Remarks CTE ---- issued on 11.06.10 Water Consumption ---- 1300 liters/day Ground Water ---- 0 liters/day Built Up Area ---- 25 (in sq. meter) CETP Membership ---- Okhla Industrial Estate CETP Society / Membership No ---- 2606 Date of commissioning of project ---- Waste Water generation Domestic Effluent ---- 750 liters/day Trade Effluent ---- 0 liters/day ETP / STP ---- N/A Test Report(Water) within Limit ---- N/A Test Report(Air) within Limit ---- N/A NMR Sumitted ---- N/A DG set : Nil CTR valid upto 08.06.06 vd CNO 6294. CTR applied on 08.11.06 vd ID 19722. CTE issued on 11.06.10 vd CNO 24206.
	Recommended for grant of renewal of consent. 
	Issue renewal of consent. 

	110
	36465  
	11-02-11
	UNIVERSAL PACKAIDS
	27, PHASE-III, OKHLA INDUSTRIAL ESTATE
	Okhla Industrial Estate
	Orange Renewal
	Manufacturing of Parts of Electrical And Electronics Appliances and PVC Product.
	Pending
	 
	07-03-2011 : Earlier CMC Decisions 12.05.10 Issue consent to establish with the condition to send the e-waste to authorized recycler. Subsequently, inspection be conducted. 09.11.10 Issue SCN u/s 21/22 of the Air Act and u/s 25/26 of the Water Act for not obtaining consent to operate. Inform to DJB regarding ground water extraction. Remarks CTE ---- issued on 11.06.10 Water Consumption ---- 1300 liters/day Ground Water ---- 1300 liters/day Built Up Area ---- 390 (in sq. meter) CETP Membership ---- Okhla Industrial Estate CETP Society / Membership No ---- 2614 Date of commissioning of project ---- Waste Water generation Domestic Effluent ---- 800 liters/day Trade Effluent ---- 0 liters/day ETP / STP ---- N/A Test Report(Water) within Limit ---- N/A Test Report(Air) within Limit ---- N/A NMR Sumitted ---- N/A DG set : Nil CTR valid upto 04.06.06 vd CNO 6295. CTR applied on 08.11.06 vd ID 19723. CTE issued on 11.06.10 vd CNO 24204.
	Recommended for grant of renewal of consent. Inform to DJB regading ground water extraction. 
	Issue renewal of consent. Inform to DJB regading ground water extraction. 

	111
	36466
	11-02-11
	MITSUMI INDIA PVT.LTD
	252
	OKHLA INDUSTRIAL ESTATE
	Orange Renewal
	Mfg. of Des and moulds and injection molding of polymers
	 
	          12.05..10
Issue consent to establish without trade effluent discharge.
	CTE : issued on 11.06.10
Water Consumption :1300Lt/d
Waste Water generation : 
(a) Domestic effluent:800Lt/d
(b) Trade effluent: Nil
Date of Commissioning: 1996
ETP /STP:N/a
Test Report (Water) within limit : N/a
Test Report (Air) within limit :  N/a
NMR submitted : N/a
DG set : Nil
CTR issued on 30.06.03vd CNO 6292.
CTR applied on 9.11.06 vd ID 19737.
CTE ssued on 11.06.10 vd CNO 24207.
	Issue SCN for refusal of consent as the activity / unit exist at Plot No 27 as per earlier record.
	Issue SCN for refusal of consent as the activity / unit exist at Plot No 27 as per earlier record.

	112
	36470  
	11-02-11
	ANMOL WIRE COMPANY
	458-466, SHAMBHU NATH COMPOUN, GALI NO 8, FRIENDS COLONY INDUSTRIAL AREA
	Friends Colony Industrial Area
	Orange Renewal
	copper wire drawing with super enameling
	Pending
	 
	08-03-2011 : CTE: No Water Consumption ---- 150 liters/day Ground Water ---- 0 liters/day Built Up Area ---- 100 (in sq. meter) CETP Membership ---- Jhilmil & Friends Colony Industrial Area CETP Society / Membership No ---- 5199 Date of commissioning of project :Existing, 2000. Waste Water generation Domestic Effluent ---- 20 liters/day Trade Effluent ---- 0 liters/day ETP / STP ---- N/A Test Report(Water) within Limit ---- N/A SMR: Yes.15.11.2010. Test Report(Air) within Limit ---- Yes. D.G.Set: Nil. NMR Sumitted ---- N/A
	Inspection be conducted.
	Inspection be conducted.

	113
	36473  
	14-02-11
	SHYAM ENGINEERING CO.
	PLOT NO-3, POCKET-O, SECTOR-2, DSIDC BAWANA INDUSTRIAL AREA
	Bawana Industrial Area
	Orange Operate
	SHEET METAL WORKS.
	Pending
	 
	18-03-2011 : CTE ---- applied on 22.07.2010 Water Consumption ---- 300 liters/day Ground Water ---- 0 liters/day Built Up Area ---- 150 (in sq. meter) CETP Membership ---- Not Applicable Date of commissioning of project ---- 2010 Waste Water generation Domestic Effluent ---- 50 liters/day Trade Effluent ---- 0 liters/day Adequecy report dated 07.02.2011 submitted. ETP / STP ---- N/A Test Report(Water) within Limit ---- N/A Test Report(Air) within Limit ---- Yes NMR Sumitted ---- N/A
	The case be linked with the file of SCN u/s 31(A) of the Air Act considered by the Scrutinizing Committee meeting dated 11.03.2011.
	File be put up administratively.

	114
	36475  
	14-02-11
	SUNIL GUPTA
	SHED NO.-102-A, (GROUND FLOOR & 1ST FLOOR) DSIDC WAZIRPUR INDUSTRIAL AREA
	Wazirpur Industrial Area
	Orange Operate
	Buffing on Utensils.
	Pending
	 
	18-03-2011 : Earlier CMC Decision: 06.04.2010. Issue SCN for refusal of consent. ATR Remarks: SCN for refusal of consent was sent on 18.06.2010 and you have submitted your reply in response of this letter on 29..07.2010. CTE ---- CTE applied on 23.02.2009 Vide Id.No. 29084. Water Consumption ---- 20 liters/day Ground Water ---- 0 liters/day Built Up Area ---- 140 (in sq. meter) CETP Membership ---- Wazirpur Industrial Pollution Control Co. / Membership No ---- 575 Date of commissioning of project ---- 25.02.2010 Waste Water generation Domestic Effluent ---- 5 liters/day Trade Effluent ---- 0 liters/day ETP / STP ---- N/A Test Report(Water) within Limit ---- N/A Test Report(Air) within Limit ---- Yes NMR Sumitted ---- N/A
	Subsequent to the decision of inspection taken on file, the unit has applied consent to operate along with the adequacy report and test report. Ask the unit to submit Bank Guarantee of Rs. 50,000 under Air Act valid for one year. If unit submits the bank guarantee, consent to operate and consent to establish be issued. 
	Ask the unit to submit Bank Guarantee of Rs. 50,000 under Air Act valid for one year. If unit submits the bank guarantee, consent to operate and consent to establish be issued. 

	115
	36476  
	14-02-11
	DIKSHA STEEL INDUSTRIES
	A-8,GROUP (GROUND FLOOR,IST FLOOOR & 2ND FLOOR) WAZIRPUR INDSUTRIAL AREA
	Wazirpur Industrial Area
	Orange Operate
	MFG. OF S.S. UTENSILS BOLL DOOR PIPE HANDLES ACCESSORIES.
	Pending
	 
	18-03-2011 : CTE ---- CTE applied on 12.01.2011 Vide Id.no. 36220. Water Consumption ---- 50 liters/day Ground Water ---- 0 liters/day Built Up Area ---- 200 (in sq. meter) CETP Membership ---- Wazirpur Industrial Pollution Control Co. / Membership No ---- 353 Date of commissioning of project ---- 01.01.2010 Waste Water generation Domestic Effluent ---- 10 liters/day Trade Effluent ---- 0 liters/day ETP / STP ---- N/A Test Report(Water) within Limit ---- N/A Test Report(Air) within Limit ---- Yes NMR Sumitted ---- N/A
	Recommended for grant of consent to operate subject to the confirmation of decision by CMC(Orange) taken for grant of consent to establish. 
	Issue consent to operate.

	116
	36479  
	15-02-11
	DETAILS
	D-30, PH-I, OKHLA INDUSTRIAL AREA
	Okhla Industrial Area
	Orange Operate
	MANUFACTURING OF READYMADE GARMENTS WITH WASHING.
	Pending
	 
	09-03-2011 : Earlier CMC Decisions 16.03.2009 Ask the unit to file permission from Central Ground Water Authority for extracting the ground water. Call on 29.04.2009. 11.05.2009 Issue final reminder for full compliance of earlier CMC decision with direction to seek permission for ground water extraction from DJB in view of new orders. Call on 24.06.2009 24.06.09 Issue SCN for refusal of consent. Call on 26.08.2009 Remarks CTE ---- issued on 11.05.06 Water Consumption ---- 6500 liters/day Ground Water ---- 6500 liters/day Built Up Area ---- 2787.091 (in sq. meter) CETP Membership ---- Okhla Industrial Area CETP Society / Membership No ---- 2218 Date of commissioning of project ---- June 2006 Waste Water generation Domestic Effluent ---- 800 liters/day Trade Effluent ---- 5000 liters/day ETP / STP ---- ETP installed Test Report(Water) within Limit ---- Yes Test Report(Air) within Limit ---- Yes NMR Sumitted ---- Yes NMR Sumitted ---- Yes DG set : 200 KVA and 125 KVA and NMR submitted dated 13.01.11. Unit have one boiler and submitted SMR dated 14.01.11 Adequacy Report submitted dated July 2006 
and test report submitted dated 20.01.11 CTE issued on 11.05.06 vd 
CNO 14485 CTO applied on 21.11.07 vd ID 24279. 
SCN for refusal of consent on 15.7.09
	Recommended for grant of consent to operate.  Inform to DJB regading ground water extraction. 
	Issue consent to operate.  Inform to DJB regading ground water extraction. 

	117
	36480
	15-02-11
	S.K. BERI & BROTHER
	A-119, PHASE-II
	OKHLA INDUSTRIAL AREA
	Orange Renewal
	MFG OF INDUSTRIAL KNIVES AND MACHINE PARTS WITHOUT HEATTREATMENT
	 
	 
	
CTE : not applied 
Water Consumption : 1000 Lt/d
Waste Water generation : 
(a) Domestic effluent:800 Lt/d
(b) Trade effluent: Nil
Date of Commissioning: 1978 
ETP /STP: N/A
Test Report (Water) within limit : N/A
Test Report (Air) within limit :  N/A
NMR submitted : submitted dated 23.11.10
DG set : 320KVA and 250 KVA 
CTR(Green) issued valid upto 22.09.10 vd CNO 15538.
	Recommended for grant of renewal of consent. 
	Inspection be conducted to check the buffing.

	118
	36481  
	15-02-11
	J.S. METAL INDUSTRIES (PROP. ADITYA KUMAR GUPTA)
	PLOT NO-25, GALI NO-6, PART OF KH. NO-358/34-33 & 313 FRIENDS COLONY INDUSTRIAL AREA
	Friends Colony Industrial Area
	Orange Operate
	Manufacturing of Pressure Cookers.
	Pending
	 
	09-03-2011 : CTE:Granted valid upto 21.02.2011. Water Consumption ---- 100 liters/day Ground Water ---- 0 liters/day Built Up Area ---- 109.5(in sq. meter) CETP Membership ---- Friends Colony Industrial Area CETP Society / Membership No ---- 5241 Date of commissioning of project:May 2010. Waste Water generation Domestic Effluent ---- 50 liters/day Trade Effluent ---- 0 liters/day ETP / STP ---- N/A Test Report(Water) within Limit ---- N/A. ECS: Yes, Dec 2010. Test Report(Air) within Limit ---- Yes. D.G.Set: Nil. NMR Sumitted ---- N/A
	Ask the unit to submit Bank Guarantee of Rs. 50,000 under Air Act valid for one year. If unit submits the bank guaranee, consent to operate be issued. 
	Ask the unit to submit its reply on an affidavit including removal of D.G. Set and Bank Guarantee of Rs. 50,000 under Air Act valid for one year. If unit submits the aforesaid documents, consent to operate be issued. 

	119
	36483  
	17-02-11
	EAGLE SERVICE CENTRE
	53B/7, RAMA ROAD, NAJAFGARH ROAD INDUSTRIAL AREA
	Najafgarh Road Industrial Area
	Orange Operate
	FABRICATION OF PVC WELDING MACHINE.
	Pending
	 
	16-03-2011 : CTE : Issued valid upto 20.12.2005 vide consent order no 12255. Water Consumption ---- 100 liters/day Ground Water ---- 100 liters/day Built Up Area ---- 130 (in sq. meter) CETP Membership ---- Kirti Nagar, DLF & Najafgarh Road Industrial Area CETP Society / Membership No ---- 2347 Date of commissioning of project ---- Waste Water generation Domestic Effluent ---- 80 liters/day Trade Effluent ---- 0 liters/day ETP / STP ---- N/A Test Report(Water) within Limit ---- N/A Test Report(Air) within Limit ---- N/A NMR Sumitted ---- N/A ATR/Remarks: Applied for CTO on 15.01.2008 vide ID no 24747.
	Recommended for grant of consent to operate. Inform to DJB regading ground water extraction.  
	Issue consent to operate. Inform to DJB regading ground water extraction.  

	120
	36484  
	17-02-11
	INDO-ASHA ENTERPRISES
	53 B6, NAJAFGARH ROAD INDUSTRIAL AREA, RAMA ROAD
	Najafgarh Road Industrial Area
	Orange Operate
	FABRICATION OF PVC BAGS.
	Pending
	 
	16-03-2011 : CTE : Issued valid upto 28.08.2006 vide consent order no 12852. Water Consumption ---- 150 liters/day Ground Water ---- 150 liters/day Built Up Area ---- 105 (in sq. meter) CETP Membership ---- Kirti Nagar, DLF & Najafgarh Road Industrial Area CETP Society / Membership No ---- 2321 Date of commissioning of project ---- Waste Water generation Domestic Effluent ---- 120 liters/day Trade Effluent ---- 0 liters/day ETP / STP ---- N/A Test Report(Water) within Limit ---- N/A Test Report(Air) within Limit ---- N/A NMR Sumitted ---- N/A Earlier CMC Decision Decision on 04.03.2009 Issue SCN for closure. Decision on 03.06.2009 Ask to furnish the details of products manufactured on an affidavit clearly indicating whether bio-degradable plastic bag/product is manufactured or not. ATR/Remarks: Applied for CTO on 27.03.2008 vide ID no 25324. Applied for authorization of plastic bags on 17.03.2008 videID no 189. Unit submitted its reply on 08.07.2009 along with affidavit and necessary documents related with the plastic bags.
	Recommended for grant of consent to operate with the condition that the unit will comply with the provisions of The Delhi Degradable Plastic Bag Act, 2000 envisaging the minimum thickness of plastic bag as 40 micron and size as 8" x 12". Inform to DJB regading ground water extraction. 
	Put up in next CMC.

	121
	36485  
	17-02-11
	SHRI AVTAR PRINTGING PRESS
	71/7, B-5, RAMA ROAD, NAJAFGARH ROAD INDUSTRIAL AREA
	Najafgarh Road Industrial Area
	Orange Operate
	OFFSET PAPER PRINTING.
	Pending
	 
	16-03-2011 : CTE : Issued valid upto 06.06.2011 vide consent order no 24078. Water Consumption ---- 100 liters/day Ground Water ---- 0 liters/day Built Up Area ---- 125 (in sq. meter) CETP Membership ---- Kirti Nagar, DLF & Najafgarh Road Industrial Area CETP Society / Membership No ---- 2405 Date of commissioning of project : 2009 Waste Water generation Domestic Effluent ---- 80 liters/day Trade Effluent ---- 0 liters/day ETP / STP ---- N/A Test Report(Water) within Limit ---- N/A Test Report(Air) within Limit ---- N/A NMR Sumitted ---- N/A ATR/Remarks: Unit is also apply for fresh authorization under HWM Rules on 17.02.2011 vide ID no 0657.
	Recommended for grant of consent to operate and authorization under HWM Rules.
	Issue consent to operate and authorization under HWM Rules.

	122
	36494  
	17-02-11
	DYANA INTERNATIONAL BEAUTY PRODUCTS
	PLOT NO 265, SECTOR-2, POCKET-C, DSIDC BAWANA INDUSTRIAL AREA
	Bawana Industrial Area
	Orange Operate
	MANUFACTURING OF PERFUMERY AND COSMETICS AND PLASTIC MOULDED ITEM WITH HOT STAMPING.
	Pending
	 
	18-03-2011 : CTE ---- expired on 17.02.2011 Water Consumption ---- 400 liters/day Ground Water ---- 400 liters/day Built Up Area ---- 120 (in sq. meter) CETP Membership ---- Not Applicable Date of commissioning of project ---- 2010 Waste Water generation Domestic Effluent ---- 120 liters/day Trade Effluent ---- 0 liters/day ETP / STP ---- N/A Test Report(Water) within Limit ---- N/A Test Report(Air) within Limit ---- Yes NMR Sumitted ---- N/A
	Inspection be conducted to check the hot stamping process and generation of hazardous waste. Inform to DJB regading ground water extraction. 
	Inspection be conducted to check the hot stamping process and generation of hazardous waste. Inform to DJB regading ground water extraction. 

	123
	36495
	17-02-11
	DYANA INTERNATIONAL BEAUTY PRODUCTS
	B-46/4
	WAZIRPUR INDUSTRIAL AREA
	Orange Operate
	Mfg. of Perfumery & Cosmetics and Plastic Moulded item with hot Stamping
	Pending
	 
	ATR Remarks:

CTE ---- Not Applied.
Water Consumption ---- 400 liters/day
Ground Water ---- 400 liters/day
Built Up Area ---- 90 (in sq. meter)
CETP Membership ---- Yes
Date of commissioning of project ---- 01.01.2010
Waste Water generation 
  Domestic Effluent ---- 120 liters/day
  Trade Effluent ---- Nil
ETP / STP ---- N/A
Test Report(Water) within Limit ---- N/A 
Test Report(Air) within Limit ---- N/A 
NMR Sumitted ---- N/A
	Ask the unit to submit the duly signed fresh affidavit and to apply for authorization under HWM Rules in view of industrial use of colour and pigments.  Inform to DJB regading ground water extraction. 
	Ask the unit to submit the duly signed fresh affidavit and to apply for authorization under HWM Rules in view of industrial use of colour and pigments.  Inform to DJB regading ground water extraction. 

	124
	36499  
	17-02-11
	K.C. PLASTIC INDUSTRIES
	C-27, LAWRENCE ROAD INDUSTRIAL AREA
	Lawrence Road Industrial Area
	Orange Operate
	FOOTWEAR.
	Pending
	 
	17-03-2011 : CTE ---- CTE issued on 28.01.2010 and valid upto 27.01.2011 Vide C.No. 22686. Water Consumption ---- 140 liters/day Ground Water ---- 0 liters/day Built Up Area ---- 240 (in sq. meter) CETP Membership ---- North West Industrial Federation CETP Society / Membership No ---- NO Date of commissioning of project ---- 01.01.2011 Waste Water generation Domestic Effluent ---- 65 liters/day Trade Effluent ---- 0 liters/day ETP / STP ---- N/A Test Report(Water) within Limit ---- N/A Test Report(Air) within Limit ---- N/A NMR Sumitted ---- N/A
	Recommended for grant of consent to operate. 
	Issue consent to operate. 

	125
	36500  
	17-02-11
	GURU HARKRISHAN MACHANICAL WORKS
	PLOT NO 59, POCKET-K, SECTOR-2, DSIDC BAWANA INDUSTRIAL AREA
	Bawana Industrial Area
	Orange Renewal
	Manufacturing and Assembling of Door Closers.
	Pending
	 
	18-03-2011 : CTE ---- expired on 17.02.2011 Water Consumption ---- 300 liters/day Ground Water ---- 0 liters/day Built Up Area ---- 60 (in sq. meter) CETP Membership ---- Not Applicable Date of commissioning of project ---- 2010 Waste Water generation Domestic Effluent ---- 150 liters/day Trade Effluent ---- 0 liters/day ETP / STP ---- N/A Test Report(Water) within Limit ---- N/A Test Report(Air) within Limit ---- N/A NMR Sumitted ---- N/A
	Inspection be conducted.
	Inspection be conducted.

	126
	36502  
	18-02-11
	CHHABRA FLOUR MILLS
	GL-29 LAWRENCE ROAD INDUSTRIAL AREA,
	Lawrence Road Industrial Area
	Orange Renewal
	Flour Mill.
	Pending
	 
	17-03-2011 : CTE ---- Not Applied Water Consumption ---- 350 liters/day Ground Water ---- 0 liters/day Built Up Area ---- 207 (in sq. meter) CETP Membership ---- Keshav Puram Industrial Area CETP Society / Membership No ---- 304 Date of commissioning of project ---- 01.01.1984. Waste Water generation Domestic Effluent ---- 200 liters/day Trade Effluent ---- 0 liters/day ETP / STP ---- N/A Test Report(Water) within Limit ---- N/A Test Report(Air) within Limit ---- Yes NMR Sumitted ---- N/A
	Recommended for grant of renewal of consent. 
	Issue renewal of consent. 

	127
	36503  
	18-02-11
	MASTER PACKAGING
	A-9 & 10, NARAINA INDUSTRIAL AREA PHASE - II
	Naraina Industrial Area Phase - II
	Orange Renewal
	Offset Printing of Duplex Board and Paper (with trade effluent discharge)
	Pending
	 
	15-03-2011 : CTE : Not Applied Water Consumption ---- 650 liters/day Ground Water ---- 0 liters/day Built Up Area ---- 965 (in sq. meter) CETP Membership ---- Naraina Industrial Area CETP Society / Membership No ---- 305 Date of commissioning of project ---- 1969 Waste Water generation Domestic Effluent ---- 300 liters/day Trade Effluent ---- 250 liters/day ETP / STP ---- Yes Test Report(Water) within Limit ---- Yes Test Report(Air) within Limit ---- N/A NMR Sumitted ---- Yes ATR/Remarks: CTO Issued valid upto 01.03.2008 vide consent order no 15388. Applied for CTO_R on 27.02.2008 vide ID no 25034. Unit is also apply for renewal of authorization under HWM Rules on 18.02.2011 vide ID no 0661.
	Ask the unit to submit effluent analysis report with complete parameters from approved laboratory of DPCC. If  unit submits the aforesaid documents, renewal of consent and authorization under HWM Rules be issued.
	Ask the unit to submit effluent analysis report with complete parameters from approved laboratory of DPCC. If  unit submits the aforesaid documents, renewal of consent and authorization under HWM Rules be issued.

	128
	36504
	18-02-11
	PRECISION PIPES & PROFILES CO. LTD
	70, PHASE-III
	OKHLA INDUSTRIAL ESTATE
	Orange Renewal
	Mfg. of Trims and Moulded Components for Automobiles.
	 
	16.03.2009 :Ask the unit to apply for consent to establish, file permission from Central Ground Water Authority for extracting the ground water and noise monitoring report of D.G.Set from empanelled laboratories of DPCC. Call on 29.04.2009.
11.05.2009 :Issue final reminder for full compliance of earlier CMC decision with direction to seek permission for ground water extraction from DJB in view of new orders. Call on 24.06.2009
24.06.09 :Issue renewal of consent. Call on 26.08.2009
	
CTE : not required
Water Consumption 4.75:
Waste Water generation : 
(a) Domestic effluent:2.5
(b) Trade effluent: Nil
Date of Commissioning: 1994
ETP /STP: N/A
Test Report (Water) within limit : N/A
Test Report (Air) within limit :  N/A
NMR submitted : submitted
DG set : 2x 125 KVA and NMR submitted dated 19.01.11
CTR valid upto 22.02.08 vd CNO 13299.
CTR valid upto 22.02.11 vd CNO 20952.
	Recommended for grant of renewal of consent. 
	Issue renewal of consent. 

	129
	36512  
	18-02-11
	GIRDHAR POLYMERS P LTD
	T-4/12, PHASE I, MANGOLPURI INDUSTRIAL AREA
	Mangolpuri Industrial Area
	Orange Operate
	Mfg. of EVA Footwear.
	Pending
	 
	17-03-2011 : Earlier CMC Decision: 11.10.2010. Issue consent to establish. ATR Remarks: CTE ---- CTE issued on 18.10.2010 and valid upto 17.10.2011 Vide C.No. 25799. Water Consumption ---- 250 liters/day Ground Water ---- 0 liters/day Built Up Area ---- 200 (in sq. meter) CETP Membership ---- Mangolpuri Industrial Area Phase - I & II CETP Society / Membership No ---- 4061 Date of commissioning of project ---- 01.01.2010 Waste Water generation Domestic Effluent ---- 200 liters/day Trade Effluent ---- 0 liters/day ETP / STP ---- N/A Test Report(Water) within Limit ---- N/A Test Report(Air) within Limit ---- N/A NMR Sumitted ---- N/A
	Recommended for grant of consent to operate. 
	Issue consent to operate. 

	130
	36513  
	18-02-11
	RIAZUDDIN GHASUDDIN
	T-4/67, PHASE-I, MANGOLPURI INDUSTRIAL AREA
	Mangolpuri Industrial Area
	Orange Renewal
	Manufacturing of Raw LD Sheets.
	Pending
	 
	22-03-2011 : CTE ---- Not Applied Water Consumption ---- 75 liters/day Ground Water ---- 0 liters/day Built Up Area ---- 120 (in sq. meter) CETP Membership ---- Mangolpuri Industrial Area Phase - I & II CETP Society / Membership No ---- 178 Date of commissioning of project ---- 01-01-2006 Waste Water generation Domestic Effluent ---- 60 liters/day Trade Effluent ---- 0 liters/day ETP / STP ---- N/A Test Report(Water) within Limit ---- N/A Test Report(Air) within Limit ---- N/A NMR Sumitted ---- N/A
	Ask the unit to submit proper CA certificate and the balance consent fee if warranted in view of capital investment.  Also ask the unit to clarify the product as the same is mentioned as PVC Footwear and Rexin Made up in the affidavit whereas the activity is shown as Mfg of Raw LD Sheets
	Ask the unit to submit proper CA certificate and the balance consent fee if warranted in view of capital investment.  Also ask the unit to clarify the product as the same is mentioned as PVC Footwear and Rexin Made up in the affidavit whereas the activity is shown as Mfg of Raw LD Sheets

	131
	36514  
	18-02-11
	HI-TONE INDUSTRIES
	PLOT NO 78, SECTOR-4, POCKET-E, BAWANA INDUSTRIAL AREA
	Bawana Industrial Area
	Orange Operate
	Manufacturing of Injection moulded goods.
	Pending
	 
	18-03-2011 : CTE ---- expired on 17.02.2011 Water Consumption ---- 100 liters/day Ground Water ---- 0 liters/day Built Up Area ---- 150 (in sq. meter) CETP Membership ---- Not Applicable Date of commissioning of project ---- 2008 Waste Water generation Domestic Effluent ---- 45 liters/day Trade Effluent ---- 0 liters/day ETP / STP ---- N/A Test Report(Water) within Limit ---- N/A Test Report(Air) within Limit ---- N/A NMR Sumitted ---- N/A
	Recommended for grant of consent to operate. 
	Issue consent to operate. 

	132
	36516  
	18-02-11
	R.K. GOEL (H.U.F.)
	G-1106, DSIDC, NARELA INDUSTRIAL AREA
	Narela Industrial Area
	Orange Renewal
	Manufacturing PVC Sole.
	Pending
	 
	21-03-2011 : CTE ---- Not Applied Water Consumption ---- 55 liters/day Ground Water ---- 55 liters/day Built Up Area ---- 210 (in sq. meter) CETP Membership ---- Not Applicable Date of commissioning of project ---- 01.01.2002 Waste Water generation Domestic Effluent ---- 25 liters/day Trade Effluent ---- 0 liters/day ETP / STP ---- N/A Test Report(Water) within Limit ---- N/A Test Report(Air) within Limit ---- N/A NMR Sumitted ---- N/A
	Recommended for grant of renewal of consent with the condition to submit the proof of CETP membership within 03 months. Inform to DJB regading ground water extraction. 
	Ask the unit to submit the proof of CETP membership. If unit submits the aforesaid document, renewal of consent be issued. Inform to DJB regarding ground water extraction. 

	133
	36517  
	18-02-11
	SANGEETA GOYAL
	G-1106, DSIDC NARELA INDUSTRIAL AREA
	Narela Industrial Area
	Orange Renewal
	Manufacturing of PVC Sole.
	Pending
	 
	17-03-2011 : CTE ---- Not Applied. Water Consumption ---- 40 liters/day Ground Water ---- 40 liters/day Built Up Area ---- 210 (in sq. meter) CETP Membership ---- Not Applicable Date of commissioning of project ---- 01-01-2002 Waste Water generation Domestic Effluent ---- 15 liters/day Trade Effluent ---- 0 liters/day ETP / STP ---- N/A Test Report(Water) within Limit ---- N/A Test Report(Air) within Limit ---- N/A NMR Sumitted ---- N/A
	Recommended for grant of renewal of consent with the condition to submit the proof of CETP membership within 03 months. Inform to DJB regading ground water extraction. 
	Ask the unit to submit the proof of CETP membership. If unit submits the aforesaid document, renewal of consent be issued. Inform to DJB regarding ground water extraction. 

	134
	36520  
	21-02-11
	J.M.D. ENTERPRISES
	5/31, KIRTI NAGAR INDUSTRIAL AREA
	Kirti Nagar Industrial Area
	Orange Operate
	Job Work of Electroplating.
	Pending
	 
	15-03-2011 : CTE : Issued valid upto 28.10.2010 vide consent order no 21721. Water Consumption ---- 150 liters/day Ground Water ---- 0 liters/day Built Up Area ---- 40 (in sq. meter) CETP Membership ---- Kirti Nagar, DLF & Najafgarh Road Industrial Area CETP Society / Membership No ---- 01 Date of commissioning of project ---- 2010 Waste Water generation Domestic Effluent ---- 25 liters/day Trade Effluent ---- 0 liters/day ETP / STP ----Yes Test Report(Water) within Limit ---- Yes Test Report(Air) within Limit ---- N/A NMR Sumitted ---- N/A
	Ask the unit to apply for authorization under HWM Rules.
	Ask the unit to apply for authorization under HWM Rules.

	135
	36522
	21-02-11
	RADNIK EXPORTS
	B-24/1, PHASE-II
	OKHLA INDUSTRIAL AREA
	Orange Operate
	MFG. OF READYMADE GARMENTS WITHOUT WASHING
	 
	 
	Water Consumption ---- 1200 liters/day
Ground Water ---- 0 liters/day
Built Up Area ---- 13000 (in sq. meter)
CETP Membership ---- Okhla Industrial Area CETP Society / 
Membership No ---- 297
Date of commissioning of project ---- 
Waste Water generation 
  Domestic Effluent ---- 800 liters/day
  Trade Effluent ---- 0 liters/day
ETP / STP ---- N/A
Test Report(Water) within Limit ---- N/A 
Test Report(Air) within Limit ---- Yes 
Test Report(Air) within Limit ---- Yes 
NMR Sumitted ---- Yes 

DG set : 125 KVA and NMR submitted dated14.01.10
Unit have 2 Boilers and Submitted dated 24.01.10

CTO (Green) issued on 16.07.03 vd CNO 6676.
CTR (Green) cancel vd cancelation no 328 on 02.06.09
CTE (Orange) issued on 11.06.10 vd CNO 24199
	Recommended for grant of consent to operate. 
	Issue consent to operate. 

	136
	36523  
	21-02-11
	RADNIK EXPORTS
	A-192, PH-I, OKHLA INDUSTRIAL AREA
	Okhla Industrial Area
	Orange Operate
	Manufacturing of Readymade Garments with Washing.
	Pending
	 
	07-03-2011 : Earlier CMC Decisions 16.03.2009 Ask the unit to file permission from Central Ground Water Authority for extracting the ground water. Call on 29.04.2009. 11.05.2009 Issue final reminder for full compliance of earlier CMC decision. Call on 24.06.2009 24.06.09 Issue SCN for refusal of consent. Call on 26.08.2009 Remarks CTE ---- issued on 21.0.06 Water Consumption ---- 10500 liters/day Ground Water ---- 10500 liters/day Built Up Area ---- 2300 (in sq. meter) CETP Membership ---- Okhla Industrial Area CETP Society / Membership No ---- 1606 Date of commissioning of project ---- May 2006 Waste Water generation Domestic Effluent ---- 1800 liters/day Trade Effluent ---- 8000 liters/day ETP / STP ---- N/A Test Report(Water) within Limit ---- Yes Test Report(Air) within Limit ---- Yes Test Report(Air) within Limit ---- Yes NMR Sumitted ---- Yes NMR Sumitted ---- Yes DG set : 2x 125 KVA and NMR submitted dated 14.01.11 Unit have 2 boiler and SMR submitted dated 24.01.11 CTE issued on 21.0.06 vd CNO 14241 CTO applied on 14.11.07 vd ID 24211. SCN for refusal of consent issued on 15.07.09. Unit submitted its 
reply on 06.07.09, 27.07.09 and 27.07.09
	Recommended for grant of consent to operate.  Inform to DJB regading ground water extraction. 
	Issue consent to operate.  Inform to DJB regading ground water extraction. 

	137
	36525  
	21-02-11
	G.M. INDUSTRIES
	T-4/67, MANGOLPURI INDUSTRIAL AREA, PHAS-I
	Mangolpuri Industrial Area
	Orange Renewal
	Mfg. of LD Sheets.
	Pending
	 
	24-03-2011 : CTE ---- Not Applied. Water Consumption ---- 75 liters/day Ground Water ---- 0 liters/day Built Up Area ---- 230.4 (in sq. meter) CETP Membership ---- Mangolpuri Industrial Area Phase - I & II CETP Society / Membership No ---- 151 Date of commissioning of project ---- 01-01-2006 Waste Water generation Domestic Effluent ---- 60 liters/day Trade Effluent ---- 0 liters/day ETP / STP ---- N/A Test Report(Water) within Limit ---- N/A Test Report(Air) within Limit ---- N/A NMR Sumitted ---- N/A
	Ask the unit to submit proper CA certificate and the balance consent fee if warranted in view of capital investment.  
	Ask the unit to submit proper CA certificate and the balance consent fee if warranted in view of capital investment.  

	138
	36527  
	21-02-11
	ROYAL GARDEN
	KH. NO 210-21/8, G.T. KARNAL ROAD, MUKHMEL PUR
	NORTH WEST
	Orange Operate
	A Party Lawn
	Pending
	 
	22-03-2011 : Earlier CMC Decision: 06.09.2010 Issue consent to establish if the unit complies with the CMCs decision dated 13.08.2010 ATR Remarks: Letter was sent on 06.09.2010 and in response of this letter your reply was received on 29.10.2010. CTE ---- CTE applied on 13.07.2010 Vide Id.No. 34491 Water Consumption ---- 3500 liters/day Ground Water ---- 0 liters/day Built Up Area ---- 200 (in sq. meter) CETP Membership ---- N/A Date of commissioning of project ---- 01-01-2010 Waste Water generation Domestic Effluent ---- 200 liters/day Trade Effluent ---- 3000 liters/day ETP / STP ---- Yes Test Report(Water) within Limit ---- Yes Test Report(Air) within Limit ---- N/A NMR Sumitted ---- N/A
	Ask the unit to submit valid permission from MCD. 
	Ask the unit to submit valid permission from MCD. 

	139
	36528  
	21-02-11
	RAM KISHAN MITTAL
	A-159,DSIDC ,NARELA INDUSTRIAL AREA
	Narela Industrial Area
	Orange Operate
	Mfg. of Plastic Products.
	Pending
	 
	22-03-2011 : Earlier CMC Decision: 05.10.2009 Issue consent to establish CTE ---- CTE issued on 19.11.2009 and valid upto 18.11.2010 Vide C.No. 22020. Water Consumption ---- 300 liters/day Ground Water ---- 300 liters/day Built Up Area ---- 300 (in sq. meter) CETP Membership ---- Not Applicable Date of commissioning of project ---- 01-01-1995 Waste Water generation Domestic Effluent ---- 200 liters/day Trade Effluent ---- 0 liters/day ETP / STP ---- N/A Test Report(Water) within Limit ---- N/A Test Report(Air) within Limit ---- N/A NMR Sumitted ---- N/A
	Recommended for grant of consent to operate with the condition to submit the proof of CETP membership within 03 months. Inform to DJB regading ground water extraction. 
	Ask the unit to submit the proof of CETP membership. If unit submits the aforesaid document, consent to operate be issued. 

	140
	36530  
	21-02-11
	SHRINK PACK LABELS PVT. LTD (UNIT-II)
	A-39, DSIDC, NARELA INDUSTRIAL AREA
	Narela Industrial Area
	Orange Operate
	Mfg. of Laminated Bags and Sacks.
	Pending
	 
	21-03-2011 : Earlier CMC Decision: 20.10.2009 Issue consent to establish with the condition taht the unit will comply with the provisions of the Delhi Degradable plastic bag Act, 2000 envisaging the minimum thickness of plastic bas as 40 micron and size as 8x12. CTE ---- CTE issued on 26.11.2009 and valid upto 25.11.2010 Vide C.No. 22095. Water Consumption ---- 300 liters/day Ground Water ---- 300 liters/day Built Up Area ---- 350 (in sq. meter) CETP Membership ---- Not Applicable Date of commissioning of project ---- 01.12.2009 Waste Water generation Domestic Effluent ---- 200 liters/day Trade Effluent ---- 0 liters/day ETP / STP ---- N/A Test Report(Water) within Limit ---- N/A Test Report(Air) within Limit ---- N/A NMR Sumitted ---- N/A
	Recommended for grant of consent to operate with the condition to submit the proof of CETP membership within 03 months. Inform to DJB regading ground water extraction. 
	Ask the unit to submit the proof of CETP membership. If unit submits the aforesaid document, consent to operate be issued.  Inform to DJB regading ground water extraction. 

	141
	36531  
	21-02-11
	CONTICAB CABLES (INDIA) PVT. LTD.
	PLOT NO.63, FIE PATPARGANJ INDUSTRIAL AREA
	Patparganj Industrial Area
	Orange Renewal
	Manufacturing of Power/Electrical cables (PVC)
	Pending
	 
	25-02-2011 : CTE ----No. Water Consumption ---- 200 liters/day Ground Water ---- 0 liters/day Built Up Area ---- 300 (in sq. meter) CETP Membership ---- Not Applicable Date of commissioning of project ----1996. Waste Water generation Domestic Effluent ---- 50 liters/day Trade Effluent ---- 0 liters/day ETP / STP ---- N/A Test Report(Water) within Limit ---- N/A Test Report(Air) within Limit ---- N/A. D.G.Set: 82 KVA. NMR Sumitted ---- Yes (26.10.2010).
	Recommended for grant of renewal of consent. 
	Issue renewal of consent. 

	142
	36532  
	22-02-11
	ISHWAR WIRE PRODUCTS
	A-30, JHILMIL INDUSTRIAL AREA
	Jhilmil Industrial Area
	Orange Renewal
	Mfg. P.V.C WIRE AND CABLES.
	Pending
	 
	09-03-2011 : CTE : No. CTR: Valid upto 25.07.2008. Water Consumption ---- 300 liters/day Ground Water ---- 300 liters/day Built Up Area ---- 250.8 (in sq. meter) CETP Membership ---- Jhilmil & Friends Colony Industrial Area CETP Society / Membership No ---- 5596 Date of commissioning of project: 2005. Waste Water generation Domestic Effluent ---- 200 liters/day Trade Effluent ---- 0 liters/day ETP / STP ---- N/A Test Report(Water) within Limit ---- N/A Test Report(Air) within Limit ---- N/A NMR Sumitted ---- N/A
	Recommended for grant of renewal of consent. Inform to DJB regading ground water extraction. 
	Issue renewal of consent. Inform to DJB regading ground water extraction. 

	143
	36533  
	22-02-11
	KUND-KUND POLYMERS
	70, RAMA ROAD, NAJAFGARH ROAD INDUSTRIAL AREA
	Najafgarh Road Industrial Area
	Orange Renewal
	Mfg. OF PVC COMPOUND AND MASTER BATCH.
	Pending
	 
	15-03-2011 : CTE : Not Applied Water Consumption ---- 1100 liters/day Ground Water ---- 1100 liters/day Built Up Area ---- 540 (in sq. meter) CETP Membership ---- Kirti Nagar, DLF & Najafgarh Road Industrial Area CETP Society / Membership No ---- 365 Date of commissioning of project : 1989. Waste Water generation Domestic Effluent ---- 1000 liters/day Trade Effluent ---- 0 liters/day ETP / STP ---- N/A Test Report(Water) within Limit ---- N/A Test Report(Air) within Limit ---- Yes Test Report(Air) within Limit ---- Yes NMR Sumitted ---- Yes ATR/Reamrks: Applied for CTO_R on 26.10.2006 vide ID no 19623. CTO Issued valid upto 31.05.2006 vide consent order no 12787. Earlier CMC Decision: Decision on 15.06.2009 Ask the unit to correct the deficiencies observed by SIT during inspection and for the organic pigment used by unit, chemical name should be given. Compliance be filed on affidavit. Call on 12.08.2009. Letter issued to the unit on 07.07.2009. Unit submitted its point wise reply on 30.07.2009.
	Inspection be conducted. Inform to DJB regading ground water extraction. 
	Inspection be conducted. Inform to DJB regading ground water extraction. 

	144
	36537  
	23-02-11
	RAPID CONTROLS PVT. LTD.
	B-47, PHASE-I ,MAYAPURI INDUSTRIAL AREA
	Mayapuri Industrial Area
	Orange Renewal
	Mfg. of Industrial Control Valves (Light Engg. Works)
	Pending
	 
	15-03-2011 : CTE : Applied on 03.03.2011 vide ID no 36601 Water Consumption ---- 400 liters/day Ground Water ---- 0 liters/day Built Up Area ---- 350 (in sq. meter) CETP Membership ---- Mayapuri Industrial Area CETP Society / Membership No ---- 05 Date of commissioning of project : 1988 Waste Water generation Domestic Effluent ---- 300 liters/day Trade Effluent ---- 0 liters/day ETP / STP ---- N/A Test Report(Water) within Limit ---- N/A Test Report(Air) within Limit ---- N/A NMR Sumitted ---- Yes ATR/Remarks: CTO_R issued valid upto 11.04.2010 vide consent order no 13644 under Green category in the activity of Industrial value (Light Engg. Work). Unit is also apply for fresh authorization under HWM Rules on 23.02.2011 vide ID no 0664.
	Recommended for grant of renewal of consent and consent to establish.
	Issue renewal of consent and consent to establish.

	145
	36538  
	23-02-11
	RAPID COOL
	B-151, PH-I, MAYAPURI INDUSTRIAL AREA
	Mayapuri Industrial Area
	Orange Renewal
	Fabrication and Machining for making steam boiler and hot water generator (engg. works)
	Pending
	 
	15-03-2011 : CTE : Applied on 03.03.2011 vide ID no 36600. Water Consumption ---- 400 liters/day Ground Water ---- 0 liters/day Built Up Area ---- 350 (in sq. meter) CETP Membership ---- Mayapuri Industrial Area CETP Society / Membership No ---- 002578 Date of commissioning of project :1995 Waste Water generation Domestic Effluent ---- 350 liters/day Trade Effluent ---- 0 liters/day ETP / STP ---- N/A Test Report(Water) within Limit ---- N/A Test Report(Air) within Limit ---- Yes NMR Sumitted ---- Yes ATR/Remarks: CTO_R Issued valid upto 24.11.2010 vide consent order no 12698 under Green category. Unit is also apply for fresh authorization under HWM Rules on 23.02.2011 vide ID no 0665.
	Inspection be conducted in view of negative list as per MPD-2021.
	Inspection be conducted in view of negative list as per MPD-2021.

	146
	36539  
	23-02-11
	DELTA TRANSFORMERS PVT LTD
	5/4, KIRTI NAGAR INDUSTRIAL AREA
	Kirti Nagar Industrial Area
	Orange Renewal
	MANUFACTURING OF SMALL SIZE TRANSFORMERS AND VOLTAGE STABLIZERS.
	Pending
	 
	15-03-2011 : CTE: Not Applied Water Consumption ---- 200 liters/day Ground Water ---- 0 liters/day Built Up Area ---- 259 (in sq. meter) CETP Membership ---- Kirti Nagar, DLF & Najafgarh Road Industrial Area CETP Society / Membership No ---- NO Date of commissioning of project ---- 2004 Waste Water generation Domestic Effluent ---- 150 liters/day Trade Effluent ---- 0 liters/day ETP / STP ---- N/A Test Report(Water) within Limit ---- N/A Test Report(Air) within Limit ---- N/A NMR Sumitted ---- N/A ATR/Remarks: CTO issued valid upto 16.01.2008 vide consent order no 13272. Applied for CTO_R on 16.01.2008 vide ID no 24757.
	Inspection be conducted to check hazardous waste generation and activity falls under negative list as per MPD-2021.
	Inspection be conducted to check hazardous waste generation and activity falls under negative list as per MPD-2021.

	147
	36542  
	23-02-11
	RAHUL BEVERAGE
	A-17, LAWRENCE ROAD INDUSTRIAL AREA
	Lawrence Road Industrial Area
	Orange Operate
	Cold Drink and Mineral Water.
	Pending
	 
	22-03-2011 : Earlier CMC Decision: 31.08.2010 Ask the unit to apply for consent to operate. ATR Remarks: Letter was sent on 11.01.2011 and you have submitted your reply in response of this letter on 17.02.2011. CTE ---- CTE issued on 25.10.2002 and valid upto 09.10.2003 Vide C.No.1595. Water Consumption ---- 15500 liters/day Ground Water ---- 0 liters/day Built Up Area ---- 400 (in sq. meter) CETP Membership ---- Keshav Puram Industrial Area CETP Society / Membership No ---- 3015 Date of commissioning of project ---- 01.12.004 Waste Water generation Domestic Effluent ---- 300 liters/day Trade Effluent ---- 1000 liters/day ETP / STP ---- Yes Test Report(Water) within Limit ---- No Test Report(Air) within Limit ---- N/A NMR Sumitted ---- N/A
	Inspection be conducted.
	Inspection be conducted.

	148
	36549  
	24-02-11
	GLOBE ENTERPRISES
	PLOT NO.-243, POCKET-I, SECTOR-1, DSIDC INDUSTRIAL COMPLEX, BAWANA INDUSTRIAL AREA
	Bawana Industrial Area
	Orange Operate
	Mfg. of Plastic Goods With Injection Moulding Machine and Engg. Works (Diemaking) without trade effluent.
	Pending
	 
	18-03-2011 : CTE ---- yes valid upto 28.03.2011 Water Consumption ---- 500 liters/day Ground Water ---- 0 liters/day Built Up Area ---- 150 (in sq. meter) CETP Membership ---- Not Applicable Date of commissioning of project ---- Jan 2010 Waste Water generation Domestic Effluent ---- 100 liters/day Trade Effluent ---- 0 liters/day ETP / STP ---- N/A Test Report(Water) within Limit ---- N/A Test Report(Air) within Limit ---- N/A NMR Sumitted ---- N/A
	Recommended for grant of consent to operate. 
	Issue consent to operate. 

	149
	36551
	24-02-11
	HYVOLT ELECTRICALS
	B-36
	JHILMIL INDUSTRIAL AREA
	Orange Renewal
	Mfg. & supply of Coper Casting, Wire Drawing and superenameling.
	Pending
	 
	CTE: NA.
CTR: Granted valid upto 06.06.2007.
Again applied for CTR on 10.08.2007-Pending.
BUA : 1049 Sq.m.
GW: Nil 
Water Consumption :1000 Llt/day
Waste Water generation : 
(a) Domestic effluent:700 ltr/day
(b) Trade effluent: Nil
Date of Commissioning:  1966 (Existing).
D.G.Set: 125 KVA & 200 KVA.
NMR: Yes, 26.08.2010.
SMR: Yes,13.12.2010.
ECS: Yes, Dec, 2010.
HWM: Yes, 24.02.2011, No-0666.
	Inspection be conducted to check the furnace.
	Inspection be conducted to check the furnace.

	150
	36553  
	25-02-11
	NEWAGE INDUSTRIES
	B-66, PHASE-I, MAYAPURI INDUSTRIAL AREA
	Mayapuri Industrial Area
	Orange Renewal
	Mfg. of Steel And Wooden Furniture with Phosphating.
	Pending
	 
	17-03-2011 : CTE : Not Applied Water Consumption ---- 1000 liters/day Ground Water ---- 0 liters/day Built Up Area ---- 1206 (in sq. meter) CETP Membership ---- Mayapuri Industrial Area CETP Society / Membership No ---- 11473 Date of commissioning of project : 2001 Waste Water generation Domestic Effluent ---- 450 liters/day Trade Effluent ---- 500 liters/day ETP : Yes Test Report(Water) within Limit ---- Yes Test Report(Air) within Limit ---- Yes NMR Sumitted ---- Yes ATR/Remarks: Earlier CTO issued valid upto 31.08.2004 vide consent order no 316. Twice of CTO_R issued valid upto 26.02.2011 vide consent order no 20603. Grant of authorization under HWM Rules on 16.06.2009.
	Inspection be conducted.
	Inspection be conducted.

	151
	36562
	25-02-11
	SUPREME ENTERPRISES
	E-21
	SMA INDUSTRIAL AREA
	Orange Operate
	Mfg. of packing material
	 
	 
	ATR Remarks:

CTE ---- Issue on 23.04.2004 and valid upto 14.04.2005 vide consent no 10215
Water Consumption ---- 0.300K liters/day
Ground Water ---- nil
Built Up Area ---- 400 (in sq. meter)
CETP Membership ---- Yes
Date of commissioning of project ---- Since 2010
Waste Water generation 
  Domestic Effluent ----  0.200 KLD
  Trade Effluent ---- N/A
ETP / STP ---- N/A
Test Report(Water) within Limit ---- N/A 
Test Report(Air) within Limit ---- N/A 
NMR Sumitted ---- N/A
	Recommended for grant of consent to operate. 
	Issue consent to operate. 

	152
	36564  
	28-02-11
	ADYA INDUSTRIES
	PLOT NO 81, SECTOR-5, POCKET-F, DSIDC BAWANA INDUSTRIAL AREA
	Bawana Industrial Area
	Orange Operate
	Mfg. of Electrical Goods
	Pending
	 
	18-03-2011 : CTE ---- expired on 27.10.2010 Water Consumption ---- 100 liters/day Ground Water ---- 0 liters/day Built Up Area ---- 60 (in sq. meter) CETP Membership ---- Not Applicable Date of commissioning of project ---- 2009 Waste Water generation Domestic Effluent ---- 50 liters/day Trade Effluent ---- 0 liters/day ETP / STP ---- N/A Test Report(Water) within Limit ---- N/A Test Report(Air) within Limit ---- N/A NMR Sumitted ---- N/A
	Recommended for grant of consent to operate. 
	Issue consent to operate. 

	153
	36567  
	28-02-11
	GAUTAM ENGINEERING INDUSTRIES
	PLOT NO.24, PKT-I, SEC-4, DSIDC, BAWANA INDUSTRIAL AREA
	Bawana Industrial Area
	Orange Operate
	IRON CASTING AND ENGINEERING WORKS.
	Pending
	 
	17-03-2011 : CTE ---- expired on 17.05.2007 Water Consumption ---- 500 liters/day Ground Water ---- 0 liters/day Built Up Area ---- 90 (in sq. meter) CETP Membership ---- Not Applicable Date of commissioning of project ---- 2006 Waste Water generation Domestic Effluent ---- 300 liters/day Trade Effluent ---- 0 liters/day ETP / STP ---- N/A Test Report(Water) within Limit ---- N/A Test Report(Air) within Limit ---- Yes NMR Sumitted ---- N/A
	Recommended for grant of consent to operate. 
	Issue consent to operate. 

	154
	36569  
	28-02-11
	RAJDHANI ROLLER FLOUR MILLS (P) LTD
	C-32, LAWRENCE ROAD INDUSTRIAL AREA
	Lawrence Road Industrial Area
	Orange Renewal
	ROLLER FLOUR MILLING.
	Pending
	 
	21-03-2011 : Earlier CMC Decision: 16.06.2010 Issue renewal of consent. CTE ---- Not Applied Water Consumption ---- 6000 liters/day Ground Water ---- 4000 liters/day Built Up Area ---- 3284 (in sq. meter) CETP Membership ---- Keshav Puram Industrial Area CETP Society / Membership No ---- 305 Date of commissioning of project ---- 23-11-1976 Waste Water generation Domestic Effluent ---- 2000 liters/day Trade Effluent ---- 0 liters/day ETP / STP ---- N/A Test Report(Water) within Limit ---- N/A Test Report(Air) within Limit ---- Yes Test Report(Air) within Limit ---- Yes Test Report(Air) within Limit ---- Yes NMR Sumitted ---- N/A
	Recommended for grant of renewal of consent. Inform to DJB regading ground water extraction. 
	Issue renewal of consent. Inform to DJB regading ground water extraction. 

	155
	36570  
	28-02-11
	EROS RESORTS AND HOTELS LTD. (HOTEL HOLIDAY INN)
	PLOT NO. 13A DISTRICT CENTRE, MAYUR VIHAR,
	EAST
	Orange Operate
	HOTEL INDUSTRY.
	Pending
	 
	10-03-2011 : CTE ----granted, valid upto 07.04.2009. Water Consumption ---- 186,000 liters/day Ground Water ----Yes, 186000 liters/day Built Up Area ---- 27340.68 (in sq. meter) CETP Membership ---- N/A Date of commissioning of project :June 2007. Waste Water generation Domestic Effluent ---- 91,000 liters/day Trade Effluent ---- 64,000 liters/day ETP / STP ----yes.Dec 2010. Test Report(Water) within Limit ---- Yes. Test Report(Air) within Limit ---- Yes. D.G.Set: Two D G set of 1250 KVA. NMR Sumitted ---- Yes,05.02.2011.
	Recommended for grant of consent to operate. Inform to DJB regading ground water extraction.  
	Issue consent to operate. Inform to DJB regading ground water extraction.  

	156
	36571  
	28-02-11
	PRINT PACKS
	PLOT NO 454,FIE PATPARGANJ INDUSTRIAL AREA
	Patparganj Industrial Area
	Orange Operate
	OFFSET PRINTING PRESS (WITHOUT TRADE EFFLUENT).
	Pending
	 
	10-03-2011 : CTE : Applied on 08.02.2011. Water Consumption ---- 100 liters/day Ground Water ---- 0 liters/day Built Up Area ---- 110 (in sq. meter) CETP Membership ---- Not Applicable Date of commissioning of project :Feb 2011. Waste Water generation Domestic Effluent ---- 50 liters/day Trade Effluent ---- 0 liters/day ETP / STP ---- N/A Test Report(Water) within Limit ---- N/A Test Report(Air) within Limit ---- N/A D.G.Set: Nil. NMR Sumitted ---- N/A
	Recommended for grant of consent to operate and authorization under HWM Rules.
	Issue consent to operate and authorization under HWM Rules.

	157
	36572  
	28-02-11
	AERO PLUS POLYPLAST PVT. LTD.
	E-55, PHASE-II, MANGOLPURI INDUSTRIAL AREA
	Mangolpuri Industrial Area
	Orange Operate
	MFG. OF FOOTWEAR (PVC EV AND LEATHER).
	Pending
	 
	17-03-2011 : CTE ---- CTE issued on 25.11.2010 and valid upto 24.01.2011 Vide C.No. 22579 Water Consumption ---- 200 liters/day Ground Water ---- 0 liters/day Built Up Area ---- 60 (in sq. meter) CETP Membership ---- Mangolpuri Industrial Area Phase - I & II CETP Society / Membership No ---- 3671 Date of commissioning of project ---- 01.01.2010 Waste Water generation Domestic Effluent ---- 200 liters/day Trade Effluent ---- 0 liters/day ETP / STP ---- N/A Test Report(Water) within Limit ---- N/A Test Report(Air) within Limit ---- N/A NMR Sumitted ---- N/A
	Recommended for grant of consent to operate. 
	Issue consent to operate. 

	158
	36574
	28-02-11
	VARUN ELECTROHEAT
	G-956, DSIDC
	NARELA INDUSTRIAL AREA
	Orange Renewal
	Mfg. of Metal Containers & Electricity Resistence Wire.
	Pending
	 
	ATR Remarks:

CTE ---- Not Applied.
Water Consumption ---- 200 liters/day
Ground Water ---- 0 liters/day
Built Up Area ---- 250 (in sq. meter)
CETP Membership ---- Not Applied.
Date of commissioning of project ---- 01.01.2002
Waste Water generation 
  Domestic Effluent ---- 200 liters/day
  Trade Effluent ---- Nil
ETP / STP ---- N/A
Test Report(Water) within Limit ---- N/A 
Test Report(Air) within Limit ---- N/A 
NMR Sumitted ---- N/A
	Ask the unit to apply for authorization under HWM Rules in view of wire drawing activity as sludge containing copper residue will be generated. Also ask the unit to submit the proof of CETP membership..  
	Ask the unit to apply for authorization under HWM Rules in view of wire drawing activity as sludge containing copper residue will be generated. Also ask the unit to submit the proof of CETP membership..  

	159
	36575  
	28-02-11
	S.R. ENGINEERING WORKS
	B-71/6, PHASE-I, MAYAPURI INDUSTRIAL AREA
	Mayapuri Industrial Area
	Orange Renewal
	MANUFACTURING OF TUBULER AUTO PARTS WITHOUT CASTING
	Pending
	 
	15-03-2011 : CTE :Not Applied Water Consumption ---- 500 liters/day Ground Water ---- 0 liters/day Built Up Area ---- 120 (in sq. meter) CETP Membership ---- Mayapuri Industrial Area CETP Society / Membership No ---- 10476 Date of commissioning of project : 1980 Waste Water generation Domestic Effluent ---- 300 liters/day Trade Effluent ---- 0 liters/day ETP / STP ---- N/A Test Report(Water) within Limit ---- N/A Test Report(Air) within Limit ---- N/A NMR Sumitted ---- N/A ATR/Remarks: CTO & CTO_R issued valid upto 29.05.2008 vide consent order no 14336. Applied for CTO_R on 13.05.2008 vide ID no 25711.
	Recommended for grant of renewal of consent. 
	Issue renewal of consent. 

	160
	36576  
	28-02-11
	ASHU MOTORS
	B-71/2, PH-I, MAYAPURI INDUSTRIAL AREA
	Mayapuri Industrial Area
	Orange Renewal
	ASSEMBLY OF F.H.P. MOTOR (ELECTRICAL).
	Pending
	 
	15-03-2011 : CTE : Not Applied Water Consumption ---- 400 liters/day Ground Water ---- 0 liters/day Built Up Area ---- 54 (in sq. meter) CETP Membership ---- Mayapuri Industrial Area CETP Society / Membership No ---- 11910 Date of commissioning of project : Jan,2001 Waste Water generation Domestic Effluent ---- 200 liters/day Trade Effluent ---- 0 liters/day ETP / STP ---- N/A Test Report(Water) within Limit ---- N/A Test Report(Air) within Limit ---- N/A NMR Sumitted ---- N/A ATR/Remarks: CTO Issued valid upto 23.05.2005 vide cosent order no 1854. CTO_R Issued valid upto 29.05.2008 vide consent order no 14335. Applied for CTO_R on 12.05.2008 vide ID no 25700.
	Recommended for grant of renewal of consent. 
	Issue renewal of consent. 

	161
	36582  
	28-02-11
	KUMAR AUTOMOBILES
	B-302, PH-I, OKHLA INDUSTRIAL AREA
	Okhla Industrial Area
	Orange Operate
	Automobile workshop cum service station with washing.
	Pending
	 
	17-03-2011 : CTE ---- issued on 12.10.09 Water Consumption ---- 4500 liters/day Ground Water ---- 0 liters/day Built Up Area ---- 464.51 (in sq. meter) CETP Membership ---- Okhla Industrial Area CETP Society / Membership No ---- 2316 Date of commissioning of project ---- March 2007 Waste Water generation Domestic Effluent ---- 400 liters/day Trade Effluent ---- 4000 liters/day ETP / STP ---- N/A Test Report(Water) within Limit ---- Yes Test Report(Air) within Limit ---- Yes NMR Sumitted ---- Yes DG set : 40 KVA submitted dated 24.01.11 Adequacy Report submitted dated November 2010 and test report dated 30.11.10 Unit have one Paine booth and SMR submitted dated 28.01.11 CTE issued on 12.10.09 vd CNO 21412. HWM authorization applied on 28.02.11 vd ID 0673.
	Recommended for grant of consent to operate and authorization under HWM Rules.
	Issue consent to operate and authorization under HWM Rules.


	Sl. No 
	ID No
	appl_dt
	firm_name
	firm_address
	area_name
	Category
	Quantity of Ground water extraction
	Activity/ Product
	Earlier CMC Decisions  
	ATR / Remarks
	Recommendations of Scrutinizing Committee on 29.03.2011 / 30.03.2011
	Decision recommended by CMC(Orange) on 08.04.2011

	1
	34900
	20-08-2010
	DURATUF GLASS INDUSTRIES PVT. LTD.-II
	S-69
	BADLI INDUSTRIAL ESTATE
	RENEWAL
	Nil
	Manufacturing of safety/Toughened Glass.
	          22.05.09
Issue renewal of consent. Call on 08.07.2009
         12.06.2009
Change of the name allowed. Call on 05.08.2009
06.08.2009
Delist the case as consent has been issued.
25.11.2010
Inspection be conducted.
	Plot area: 468 Sq.mtr
Year of Establishment: 2006
Water Consumption:1200 ltr/day
Trade effluent:Nil
Domestic effluent : 350 ltr/day
CTR valid upto 22.08.2010.
CTE valid upto 14.05.2009.
CTO valid upto 31.08.2007.
NMR submitted on 20.08.2010.
Inspection conducted on 05.02.2011 and following observed
1. Unit found operating , engaged in mfg of toughed glass using electric oven for annealing the plan straight glass to prepare the cvrved glass.
2. No chemical used and no trade effluent discharge.
3. DG set found with acoustic enclosure and adequate stack ht.
	Recommended for grant of renewal of consent.
	Issue renewal of consent.

	2
	35372
	40463
	SEVEN SEAS HOSPITALITY
	PLOT NO 12, MANGLAM PLACE, SECTOR-3, ROHINI
	NC-NW
	 
	 
	Hotel
	 
	Brief status of the case:
1. Earlier the owner of this project was M/s Star Reality Pvt. Ltd. 
They have already obtained CTE (07.01.2008) and EC (30.07.2008).
2. After taht this hotel project has been purchased by M/s  seven seas hospitality Pvt. Ltd. 
Applied fot CTE on 12.10.2010 and EC obtained on 16.03.2011.
As decided in CMC (O) inspectio has been carried out by DPCC officials on 05.02.2011.
observations: 1. Proposed 04 star hotel , a construction project visited and found that 
excavaton work about 10 to 12 meter depth has already been done. 
It was reported that earlier excavation were was done by M/s star reality Pvt. Ltd., 
thereafter plot was purchased by existing co. i.e M/s seven seas hospitality Pvt. Ltd. 
EC & CTE was earlier obtained by M/s star Realty Pvt. Ltd. 
2. Concrete mixing and batch plant cube test lab & other macihnary is under
 installation by consultant namely M/s Ahluwalia construction co. hired by
 M/s seven seas hospitality Pvt. Ltd.
3. All the 07 D.G sets 4*125, 3*82.5 KVA found without accoustic enclosure. 
However brick masonary work for proposal common accoustic room is going on 
beside stack height installation.
4. Excavation for proposed safety tank for labour camp is going on.
5. About 15 to 16 borewell connections exists. Some of them are beng 
used for the dewatering.
	Recommended for grant of consent to establish. 
	Issue consent to establish. 


	Sl. No 
	ID No
	appl_dt
	firm_name
	firm_address
	area_name
	Activity/ Product
	Project Details
	Earlier CMC Decisions  
	ATR
	Recommendations of Scrutinizing Committee on 29.03.2011 / 30.03.2011
	Decision recommended by CMC(Orange) on 08.04.2011

	3
	27269
	10-09-2008
	BEST MEGA MALL
	CSC/OCF NO. 7, SECTOR-24, PHASE-III, ROHINI
	NC-NW
	Commercial complex
	BUA :  989.548sq.m
EC : NA
Water Consumption :6KLD
Waste Water generation : 
(a) Domestic effluent: 5KLD
(b) Trade effluent: NIL
Total Project Cost : 9 crores
Date of Commissioning: feb 2007
	                            17.09.2008
SIT to inspect and report. Call on 16.10.2008
                             15.10.2008
Call for personal hearing on 06.11.2008 at 7.30 PM and also to correct the deficiencies noted by SIT. 
                         06.11.2008
The unit came for personal hearing today. It claims that it was unaware of the provisions of Air and Water Acts and has applied for Consent to Establish. In view of the fact the mall is operational but the domestic effluent being only 5 KLD, the Committee deliberated and reduced the environmental damages to Rs. 5 Lakhs and Bank Guarantee to Rs. 10 Lakhs valid for three years. To be complied by 23.12.2008. If the unit complies with the same, issue Consent to Establish across the table. Call on 23.12.2008.
                            23.12.2008
Issue final reminder. Call on 28.01.2009
                            28.01.2009
ALO  with advocate to file copy of court order and put up administratively. Call on 30.01.2009
                              30.01.2009
ALO with the help of our advocate, to get the court order and submit the file administratively with the court order. ALO be advised to submit, whatever transpires in the court, only in writing. 
                             15.06.2009
Call on 12.08.2009
  Recommendations of Scrutinizing Committee on 
25.06.2010 / 30.06.2010
Matter is subjudice. Inspecton be conducted to know 
the present status of construction viz a viz pollution 
control systems.
                           05.08.2010
Put up in next CMC.
11.10.2010
File be put up administratively with latest court order.
                             21.01.2011
Opinion be sought from Legal Cell.
	Environmental Damages:5lakhs
Bank Guarantee :10 lakhs 
Not submitted.
The Legal Cell has suggested to issue notice u/s 25(5) of the Water Act and prosecution proceedings u/s 42(g) of Water Act and 38(g) of Air Act. 
	Opinion from the advocate on panel be sought. 
	Opinion from the advocate on panel be sought. 


	Sl. No
	ID No
	appl_dt
	firm_name
	firm_address
	area_name
	Activity/ Product
	Earlier CMC Decisions  
	ATR / Remarks
	Recommendations of Scrutinizing Committee on 29.03.2011 / 30.03.2011
	Decision recommended by CMC(Orange) on 08.04.2011

	1
	35004
	01-09-10
	SYMMETRIX PRINTS PVT. LTD.
	B-87, PHASE-II  
	OKHLA INDUSTRIAL AREA
	Printing & Packaging  
	     25.11.10
Issue consent to establish. Subsequently, inspection be conducted.
	CTE issued on 11.01.11 vd CNO 26370.
Inspection conducted by DPCC officials on 14.03.11:
1. The unit was found in operation with activity of offset printing without plate making.
2. The unit has not installed the plate making facility and ETP for which  CTE was obtained.
3. It was reported that at present plate are procured from out side.
4. As reported, plate making facility will be installed with in one month after installation of ETP.
5. Another unit M/S Premier paper packing (A unit of Raja ISPAT Pvt ltd) is going to shift their unit to Greater Noida, as reported. Mean while work of shifting of machinery was going on.
	Issue SCN u/s 21/22 of the Air Act and u/s 25/26 of the Water Act and also ask the unit to apply for authorization under HWM Rules as the unit is operational. Also ask the unit to install ETP before undertaking plate making activity. 
	Issue SCN u/s 21/22 of the Air Act and u/s 25/26 of the Water Act and also ask the unit to apply for authorization under HWM Rules as the unit is operational. Also ask the unit to install ETP before undertaking plate making activity. 

	2
	35138  
	17-09-2010
	AROMA CHEMICAL AGENCIES (INDIA) PVT. LTD.
	D-91/4, PHASE-I, 
	OKHLA INDUSTRIAL AREA
	Warehouse and Small Laboratory for testing (In-house only).
	           25.01.2010
Issue Consent to Establish. Subsequently, inspection be conducted.
           27.04.2010 
Inspection done. No action.
            21.01.11
Inspection be conduuted
	CTE issued on 11.01.11 vd CNO 26370.
Inspection conducted by DPCC officials on 22.03.11:
1. The unit is engaged in the activity of chemicals including in-house testing (List obtained).
2. The unit has installed an ETP (batch type) which was found in operation condition.
3. During the inspection no testing work was observed in the lab. It was reported only in-house testing of chemical are carried out, if required.
4. The unit is not comply with the provision of HWM Rules w.r.t date of storage of containers and daily record of H.W
	Ask the unit to correct the deficiencies observed during the inspection and submit an affidvit in this regard. Also ask the unit to apply for authorization under HWM Rules. 
	Ask the unit to correct the deficiencies observed during the inspection and submit an affidvit in this regard. Also ask the unit to apply for authorization under HWM Rules. 

	3
	35307
	06-10-10
	ASHISH GLASS INDUSTRIES
	PLOT NO 61, SCHEME-I, PHASE-II
	OKHLA INDUSTRIAL AREA
	Mfg. of Glass Gifts Items
	    In CTO application:
     05.08.2010
Ask the unit to apply for consent to establish.
     25.11.10
Inspection be conducted. 
	CTE applied on 06.10.2010
CTO applied on 28.06.2010
Inspection conducted by DPCC officials on 14.03.11:
1. Unit was found operational and engaged in the activity of Mfg. and processing of glass gift items.
2. No channelization was provided with spray painting booth.
3. No HWM provisions were made.
4. Grinding and polishing were made without proper channelizations.
	Ask the unit to provide proper channelization system with spray painting, grinding and polishing section and also to apply for authorization under HWM Rules. 
	Ask the unit to provide proper channelization system with spray painting, grinding and polishing section and also to apply for authorization under HWM Rules. 

	4
	32441
	15-01-2010
	M/s Servonix India Pvt. Ltd
	 S-43, FIE, Phase-II
	OKHLA INDUSTRIAL AREA
	Assembly of the Transformer/ Stablizer and sheet metal painting
	         137th
Ask the unit to apply for authorization under HWM Rules.
      19.08.10
Unit be clarified accordingly to apply for authorization under HWM Rules immediately.
       13.01.11
Inspection be conducted.
	Inspection conducted by DPCC officials on 14.03.11:
1. Unit was found operational and engaged in the activity of Assembly of the Transformer/ Stabilizer and sheet metal with varnishing.
2. No HWM Rules provisions were made.
3. One electric boiler being used without adequate stack height.
4. One electric oven is used for varnishing purpose and another was lying in defund condition.
5. No bore well exist.
	Ask the unit to correct the deficiencies observed during the inspection and submit an affidvit in this regard. Also ask the unit to apply for authorization under HWM Rules. 
	Ask the unit to correct the deficiencies observed during the inspection and submit an affidvit in this regard. Also ask the unit to apply for authorization under HWM Rules. 


	Sl. No.
	Id.No.
	Application Date
	Name
	Address
	Ind. Area
	Activity
	Earlier decisions
	ATR / Remarks
	Recommendations of Scrutinizing Committee on 29.03.2011 / 30.03.2011
	Decision recommended by CMC(Orange) on 08.04.2011

	1
	 
	 
	M/s Mittal Electricals
	H-181, Sec-5
	Bawana Ind Area
	 
	 
	Inspection Carried out on 05.02.2010 and it was found that:
i) No ETP was installed to ttreat the trade Effluent.
Ii) No ECS was installed with coal fired boilers.

Dir for closure issued to the unit on 12.03.2010
	Seek compliance report from concerned agencies. 
	Seek compliance report from concerned agencies. 

	2
	24214
	 
	UNIVERSAL SWITCH GEAR CONTROL
	PLOT NO-14, POCKET-I, SECTOR-3
	BAWANA INDUSTRIAL AREA
	Manufacturing of Control Panel
	04.06.2009
Ask the unit to Submit the balance consent fees for 7 years.
Letter for the same issued to the unit on 19.06.09
23.06.2009
Letter be pasted on the premises along with the inspection.
01.02.2010
Send the letter at the residential address and also carry out the inspection.
06.05.2010
Reinspection be conducted and also issue reminder for the balance consent fee to ensure the full compliance of the earlier CMC's decision.
07.10.2010
Consent refused and confirm closure directions.
	Inspection Carried out on 17.07.2010 and it was found that:
i) entire trade effluent generated from phosphating being discharged w/o any treatment.

Dir. For closure issued to the unit on 03.02.2011
Reply received 25.02.2011,17.02.2011,09.03.2011 with affidavit.
	Closure directions be revoked temporarility for 45 days for submission of adequcy report and stack monioring report of ECS. 
	Ask the unit to submit bank guarantee of Rs. 1 Lakh each under Air Act, Water Act and HWM Rules valid for one year. If unit submits the bank guarantee, closure directions be revoked temporarility for 45 days for submission of adequcy report and stack monioring report of ECS. 

	3
	31277
	31.08.2009
	SHIVA PLASTIC INDUSTRIES
	POCKET-O, PLOT NO-147, SECTOR-1, DSIDC COMPLEX
	BAWANA INDUSTRIAL AREA
	Mfg of box strips & plastic granules
	09.09.2009
Inspection be conducted
13.11.2009
Reinspection with prior notice.
13.11.2009
Issue SCN for closure.
	Ground water-NIL
CTE obtained & valid upto 09.11.07
Applied for Auth under HWM rules on 13.01.2009 (I.Do 4882)
Applied under plastic bags Act on 28.08.2009 (I.No-219_.

SCN issued to unit on 22.03.2010. Reply received from the unit on 04.06.2010.
Inspection Carried out on 02.02.2009 and it was found that:
i) No hood and suction device installed
ii) Printing was also done. HW not stored as per HWM rules. NO logbook maintained.
iii)1DG set with proper acoustic enclosure and improper stach height .
iv)1 dust operated boiler was being used for drying of printed polythene sheets and no proper stack was provided
v)one bore wellll exists without information regarding DJB permission.
Reply received on 19.10.2010.
	File be put up administrativley.
	File be put up administrativley.

	4
	21728
	 
	DHANJAL INDUSTRIES
	PLOT NO-20, POCKET-B, SECTOR-3, DSIDC
	BAWANA INDUSTRIAL AREA
	Engg works with buffing
	Decision on 05.10.2009
Issue Consent to Establish. Subsequently, inspection be conducted.
12.02.2010/15.02.2010
Issue closure directions.
	GW-500 l/d
Unit is enagaged in Engg works with buffing.
No ECS installed.One borewell exists.
CTE issued to the unit on 19.11.2009.
Reply received on27.04.2010
Reply received on 12.01.2011.

Not applied for CTO.
	Seek compliance report from concerned agencies. 
	Seek compliance report from concerned agencies. 


	Sl. No
	ID No
	appl_dt
	firm_name
	firm_address
	area_name
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	Proposed  Activity/ Product
	Earlier CMC Decisions  
	ATR / Remarks
	Recommendations of Scrutinizing Committee on 29.03.2011 / 30.03.2011
	Decision recommended by CMC(Orange) on 08.04.2011

	1
	32955
	26-02-2010
	LIFESTYLE BUILDCON PVT. LTD. (SALCON AURUM)
	PLOT NO 4, VILLAGE JASOLA
	NC-S
	OPERATE
	Salcon Aurum at PLOT NO 4, VILLAGE JASOLA
	                      04.03.2009
Ask the unit to file the technical evaluation report of STP immediately. Call on 02.04.2009
                              02.04.2009
Issue final remider. Call on 12.05.2009
                              12.06.2009
File be submitted administratively.
                             06.01.10
Inspection be expedited by SIT within 15 days.
                  27.08.10
Issue SCN for refusal of consent and SCN u/s 33(A) of the Water Act.
	The CMC in its meeting held on 06.11.08 decided to levy of Rs. 35 lakhs and BG of Rs.35 Lakhs which are yet to be submitted. The unit filed an appeal on 24.12.08 against ED. The unit called for personal hearing on 21.01.09 and it was claimed that proper STP has been established. Therefore, ED and BG are very high. Accordingly, it was decided that the unit will submit technical adequacy report from impanneled agencies which was submitted on 22.04.09. Inspection conducted by SIT on 09.07.10. As decided by CMC SCN for refusal of consent to operate and SCN for closer u/s 33 (A) of Water Act was issued on 01.11.10. The unit has submitted its reply on 03.12.10 and following were informed-
1. STP will operated as soon as the occupancy will increase.
2. Filter press, flow meter proper labeling on tanks and aroow marks on pipelines have been provided in the STP.
3. No solar heater has been proposed as there is no food court.
4. Proper tree plantation and solar light shall be provided.
5. UV-radiation utilization for this water disinfection is being provided.
6. Two RWH pits have been provided for both roof run-off and surface run-off.
	Case be discussed before CMC(Orange).
	Put up in next CMC.

	2
	30576
	03-07-2009
	SAGAR RATNA HOTELS PVT. LTD. (SAGAR RATNA)
	C-2, GROUND FLOOR, FIRST FLOOR, MALVIYA NAGAR
	NC-S
	ESTABLISH
	Restaurant
	    In CTR application:(23.03.10)
 Letter be issued to GGS University regarding authenticaity of the adequacy report  in view of date of issuance of the adequacy report mentioned as 31.11.09.

          05.08.2010
Call Prof. Amarjeet Kaur along with technical assistant for personal hearing before Member Secretary, DPCC.
	
In CTR:
Letter issued on 26.04.10
Reply received through GGSI University regarding adequacy report of the unit.

On the basis of personal hearing unit submitted a bank garanttee on 14.02.11 and submision of consent fee.
	Recommneded for grant of consent to operate and consent to establish. 
	Issue consent to operate and consent to establish. 

	3
	31501
	22-09-2009
	LAXMI BUILDTEH PVT. LTD.
	PLOT NO D-1 & P-3A, SAKET
	NC-S
	OPERATE
	Commercial complex
	       06.01.10
Matter subjudice. Inspection by SIT.
       143rd
Whenever the matter comes in the court, the report may be apprised to the court. 
   19.08.10
Issue another notice for inspection through pasting and inspection be carried out by SIT. 
	Unit was inspected by SIT on 10.06.10 and following were observed:-

1. The office cum shopping mall found operational with 40% occupancy.
2. Notice of Inspection were served to Sh. Sunil Mehta (Project Incharge) available at site .
3. However, inspection could not be conducted as the representative present at site  did not allow the team and informed that due to non availability of the concerned professional, inspection would not be allowed.
4. Hence inspection team could not check details with respect to this unit.
	Serve the notice for prosecution for obstructing the officials to discharge their duties. 
	Put up in next CMC.


