Minutes of the 154th meeting of the Committee Constituted for Deciding the Consent under Orange Category, held on 09.11.2010 in the Conference Room of Chairman, DPCC.

The following persons attended the meeting:

Sh. Dharmendra, Chairman, DPCC

Dr. A.K.Ambasht, Member Secretary, DPCC

Prof. S. K. Gupta, IIT-Delhi
Sh. B. Kumar, SEE, DPCC. 
Sh. M. Dwarakanth, SSO, Dept. of Env., GNCTD 

EEs of CMC –  I, II, III & IV.


AEEs of CMC – I, II, III & IV.


Following are the minutes of the meeting:- 

Agenda Item No. 1- Inspection conducted in compliance of earlier CMC's decisions considered by Scrutinizing Committee on 13.09.2010 / 14.09.2010.

Decisions recommended with respect to this agenda are tabulated and annexed as Annexure – 1. 

Agenda Item No. 2- Hon’ble High Court order dated 30.09.2010 related to residential complexes, commercial shopping complexes and shopping malls.
The Hon’ble High Court order dated 30.09.2010 has been passed w.r.t. residential complexes, commercial shopping complexes and shopping malls and the same was discussed. The directions of Hon’ble Court  related to the imposition of Bank Guarantee and environmental damages etc. are to be followed in respect of the aforesaid construction projects. Appeal be filed against the order at top most priority.
Table Agenda Item No. 1 to 19:-.
Decisions recommended with respect to this agenda are tabulated and annexed as Annexure – 2. 

Table Agenda Item No 20:- M/s Maharaja Agrasen College, FC-26, Village Dallupura, Vasundhara Enclave, Delhi

Issue consent to establish.  
Meeting ended with thanks to the chair.
	Sl .No
	ID No
	appl_dt
	firm_name
	firm_address
	area_name
	Proposed  Activity/ Product
	Earlier CMC Decisions  
	ATR / Remarks
	Findings of Inspection
	Recommendations of Scrutinizing Committee on 13.09.2010 / 14.09.2010
	Decision recommended by CMC(Orange) on 09.11.2010

	1
	25534
	22-04-2008
	NEW WEMBLEY PRODUCTS
	53, PVT. NO A-4, RAMA ROAD
	NAJAFGARH ROAD INDUSTRIAL AREA
	Packing of thiner and retarder (use in paints for dilution) ( ITHXL acetate)
	Decision on 12.02.2010/15.02.2010
Inspection be conducted.
	Earlier CTE isuued on 06.04.05 valid upto 05.04.06 for the activity of mfg. of Ink (Non-Flexographic).
Also applied for CTO on 01.12.06 vide I.D. No 20041 for the same activity.
Now unit has again applied for CTE for the activity of Packing of thiner and retarder (use in paints for dilution) ( ITHXL acetate).
Date of commissioning: July 2008
GW- Nil.
No tarde effluent.
No D.G Set.
	Inspection conducted on 11.05.2010. observation are:
1.)Unit is engaged in activity of hand mixing of chemicals mentioned as sr. no. 5 in drums and then repacking in small containers of capacity 1 ltr, 5 ltr & 20 ltr.the raw material chemicals are procured in 200 ltr (Kg) drums.
2.) the activity involves only mixing and packing. however the raw material as well product is highly inflammable. five no. of fire extinguishers are found installed.
3.) unit is not having permission from fire dept.
	Recommended for grant of consent to establish with the condition to obtain the permission from the Fire Deptt. and not to use any nitrocellulose and alkyd resin based raw material. 
	Issue consent to establish with the condition to obtain the permission from the Fire Deptt. and not to use any nitrocellulose and alkyd resin based raw material. 

	2
	32897
	23-02-2010
	S.K.P. ENTERPRISES
	A-22A, PHASE-II
	MAYAPURI INDUSTRIAL AREA
	Polythene bags and plastic goods.
	Decisiion on 16.03.2010
Issue Consent to Establish with the condition that the unit will comply with the provisions of The Delhi Degradable Plastic Bag Act, 2000 envisaging the minimum thickness of plastic bag as 40 micron and size as 8" x 12". Subsequently, inspection be conducted.
	CTE issued valid upto 25.04.2011
GW: nil
Trade eff: nil
Plot area: 26X72 sq ft.
D.G. set: nil

M/s Vikas Rubber Factory has obtained the CTE (valid up to 25.04.11) and applied for cto on 14.08.06 and 09.10.09.
Case is considered in CMC on 19.08.10.
	Inspection conducted on 21.07.2010 during the inspection following were observed:
1.)Unit found operational in the activity of mfg. of polythene bags & plastic goods.
2.) One another unit is also operating at the same address namely M/s Vikas rubber facory.
3.) Unit does not recycle the polythene bags & plastic goods.
	Issue SCN u/s 21/22 of the Air Act and u/s 25/26 of the Water Act to M/s S.K. P. Enterprises for not obtaining consent to operate.
Regarding M/s Vikas Rubber Factory decision of CMC has already been taken w.r.t. its consent application, decision may be followed up. 
	Issue SCN u/s 21/22 of the Air Act and u/s 25/26 of the Water Act to M/s S.K. P. Enterprises for not obtaining consent to operate.

	3
	28606
	06-01-2009
	BHARAT PRODUCTS LTD.
	E-17-18, DSIDC
	NANGLOI DSIDC INDUSTRIAL AREA
	Mfg. of tin metal containers with printing & heating 
	Decision on 10.02.09
As the unit has applied for Consent to Establish under orange category, the applicatin under green category becomes infructous.
Decision on 07.05.2010
Issue CTE.Subsequently, inspection be conducted. Ask the unit to apply for fresh authorization under HWM Rules.
	Earlier CTO issued.
CTE issued valid upto 06.06.2011
Application of CTO-R under green category made infructous on 06.03.09.
Unit applied for fresh HWM rules on 29.06.2010
Applied for CTO on 06.05.09
DG Set : Nil         
Trade Eff: nil
	Inspection conducted on 04.05.2010. observations are:
1.) unit is generating HW in form of ink residue, the same is being maintained as per rule.
2.) LPG fired bhatties with adequate stack. 
3.)DG set is with acoustic enclosure and adequate stack height.
	Inspection report be put up along with the consent to operate application in chronology. 
	Inspection report be put up along with the consent to operate application in chronology. 

	4
	32696
	08-02-2010
	AROSONS PLASTICS PVT. LTD.
	B-90, PHASE-I
	MAYAPURI INDUSTRIAL AREA
	mfg. of plastic moulded items
	Decision on 16.03.2010
Issue CTE.Subsequently, inspection be conducted.
	CTE issued valid upto 25.04.2011
CTO issued valid upto 20.06.2009
Applied for CTO_R on 04.06.2009.
Trade eff: nil
Plot area: 1097 sqm
D.G. set of 140 KVA & 200 KVA, NMR submitted dated 22.05.2009
	Inspection conducted on 18.06.2010.
1.) unit is engaged in mfg. of plastic moulded parts.
	Inspection report be put up along with the consent to operate application in chronology. 
	Inspection report be put up along with the consent to operate application in chronology. 

	5
	29253
	16-03-2009
	HONDA MOTORCYCLE & SCOOTER INDIA PVT. LTD.
	C-126
	NARAINA INDUSTRIAL AREA PH-I
	Servicing & washing of two wheelers
	Decision on  07.05.2010
Issue Consent to Establish. Subsequently inspection be conducted
	Earlier CTE issued valid upto 09.06.2010
Unit has applied for authorization under HWM rules on 16.03.09.
Trade Effluent : 450 ltrs/ day (ETP proposed)
DG set: 40 KVA
ETP is supposed to be operated periodically as the sale of bikes is 2-3 bikes per month. 
	Inspection done on 18.06.2010.

1) ETP found installed and in operational condition.
2) As reported only two to three bikes serviced in a month. 
	Issue SCN u/s 21/22 of the Air Act and u/s 25/26 of the Water Act for not obtaining consent to operate. Ask the unit to apply for fresh authorization under HWM Rules.
	Issue SCN u/s 21/22 of the Air Act and u/s 25/26 of the Water Act for not obtaining consent to operate. Ask the unit to apply for fresh authorization under HWM Rules.

	6
	33586
	19-04-2010
	RAWAT PRINTS
	SHED NO 44, CAT-III, DSIDC
	NANGLOI DSIDC INDUSTRIAL AREA
	Cloth Printing
	Decision on 26.07.2010
Inspection be conducted
	CTE issued valid upto 06.06.2011.
Applied for fresh authorization under HWM Rules on 19.04.2010 vide ID no. 0091
CTR under green category was made infructous on 08.12.08 as activity falls under orange category.
  DG Set :Nil 
 Trade Eff:Nil 
GW :Nil
	Inspection conducted on 17.08.2010 during the inspection following were observed: 
1.) Unit generating HW and follows all rules as per HWM Rules.
2.) Unit print cloths as per order from outside.
	Case was considered on 26.07.2010 in chronology and inspection has been conducted as per decision. Recommended for grant of consent to operate and authorization under HWM Rules. 
	Issue consent to operate and authorization under HWM Rules. 

	7
	33758
	05-05-2010
	TIYA INDUSTRIES
	A-28, PHASE-I
	MAYAPURI INDUSTRIAL AREA
	Mfg. of Elastic Rail Clips
	Decision on 26.07.2010
Inspection be expedited.
	Issued CTO & CTR on 12.04.2007
Applied for CTR on 11.04.07
Trade efflluent: niil
D.G.Set: 62.5 KVA.  NMR submitted on 16.04.2010.
Stack atttached to boiler SMR submittted dataed  19.04.2010
	Inspection conducted on 03.08.2010 during the inspection following were observed: 
1.)Unit has installed 2 nos. of oil fired furnance,  channelization system
2.) Unit has not installed emission control, a lot of smoke emission generated from the process is discharge directly without channelization.
3.) the ducting over furnance is  found broken and the shed over the bhatties are also in broken condition.
	Issue SCN u/s 31(A) of the Air Act. 
	Issue SCN u/s 31(A) of the Air Act. 

	8
	33760
	05-05-2010
	PATHICK ENGINEERING WORKS
	A-44, PHASE-I
	MAYAPURI INDUSTRIAL AREA
	Mfg. of Elastic Rail Clips
	Decision on 26.07.2010
Inspection be conducted
	Issued CTO & CTR on 12.04.2007
Applied for CTR on 11.04.07
Trade efflluent: niil
D.G.Set: 62.5 KVA.  NMR submitted on 16.04.2010.
Stack atttached to boiler SMR submittted dataed  19.04.2010
	Inspection conducted on 17.08.2010 during the inspection following were observed: 
1.) one D.G. Set found installed with acoustic enclosure & proper stack height.
2.) one furnance installed with proper stack hieght.
	Reinspection be conducted to ascertain the hazardous waste generation. 
	Reinspection be conducted by AEE.

	9
	25555
	23-04-2008
	SUNSHINE PRINTERS
	B-54
	NARAINA INDUSTRIAL AREA PH-II
	Offset printing without washing.
	Decision on 25.01.08
M/s Sunshine Printers:-The unit is engaged in the activity of Offset Printing.No steps has
been taken to comply with the HWM Rules. The unit is operating without obtaining consent under
Air & Water Act and authorization under HWM Rules and has not applied for the same.
Decision on 12.02.2010/15.02.2010
Issue Consent to Establish. Subsequently, inspection be conducted.
	Notice u/s 5 of EPA  and u/s 31(A) was issued to the unit on 22.02.08.
Unit has applied for CTE.
GW- 150 ltrs/day.
No tarde effluent.
No D.G Set.
Unit  has applied for authorisation under HWM on 23.04.08 without the photographs of display board and HW containers.
	Inspection conducted on 07.09.2010
during the inspection following were
observed: 
1.) Unit found operational and engaged in the activity of offset printing.
2.)Unit generating hazardous waste and not follow the rules as under HWM Rules.
3.) Unit washing the aluminium plates containing ink.
4.) Printing the papers as per order from outside.
	Issue SCN u/s 33(A) of the Water Act and u/s 5 of the EPA. 
	Issue SCN u/s 33(A) of the Water Act and u/s 5 of the EPA. 

	10
	25552
	23-04-2008
	CREATIVE POINT
	B-54
	NARAINA INDUSTRIAL AREA PH-II
	Screen Printing without washing
	Decision on 25.01.08
M/s Screen Printing:- The unit is engaged in the activity of Screen Printing.No steps has
been taken to comply with the HWM Rules.The unit is operating without obtaining consent under
Air & Water Act and authorization under HWM Rules and has not applied for the same.
Decision on 12.02.2010/15.02.2010
Issue Consent to Establish. Subsequently, inspection be conducted.
	Notice u/s 5 of EPA  and u/s 31(A) was issued to the unit on 22.02.08.
Unit has applied for CTE.
GW- 110 ltrs/day.
No tarde effluent.
No D.G Set.
Unit  has applied for authorisation under HWM on 23.04.08 without the photographs of display board and HW containers.
	Inspection conducted on 07.09.2010
during the inspection following were
observed: 
1.)Unit does not exist at site.
2.) As informed by the propertier unit has been  closed.
	Issue SCN for revocation of consent to establish. 
	Issue SCN for revocation of consent to establish. 

	11
	25556
	23-04-2008
	D.K. PRINTERS
	B-54
	NARAINA INDUSTRIAL AREA PH-II
	Offset printing without
washing.
	Decision on 25.01.08
The unit is engaged in the activity of Offset Printing.The unit has not
provided adequate stack height and acoustic enclosure with the D.G. sets of 10 KVA. No steps
has been taken to comply with the HWM Rules. The unit is operating without obtaining consent under Air & Water Act and authorization under HWM Rules and has not applied for the same.
Decision on 12.02.2010/15.02.2010
Issue Consent to Establish. Subsequently, inspection be conducted.
	Notice u/s 5 of EPA  and u/s 31(A) was issued to the unit on 22.02.08.
Unit has applied for CTE.
GW- 100 ltrs/day.
No tarde effluent.
No D.G Set.
Unit  has applied for authorisation under HWM on 23.04.08 without the photographs of display board and HW containers.
	Inspection conducted on 07.09.2010
during the inspection following were
observed: 
1.) Unit found operational and engaged in the activity of offset printing.
2.) Unit generating hazardous waste and do not follow any rules under HWM rules.
3.) Unit throw hazardous waste in the form of cloth to the kabaadi.
4.) Plate washing is also found at the site and water is discharge into the sewer.
	Issue SCN u/s 33(A) of the Water Act and u/s 5 of the EPA. 
	Issue SCN u/s 33(A) of the Water Act and u/s 5 of the EPA. 

	12
	33519
	13-04-2010
	SYSTEM GRAPHICS INDIA PVT LTD.
	PLOT NO 72, BLOCK-B
	NARAINA INDUSTRIAL AREA PH-II
	printing plate & color seprated positive (film) and desktop publishing.
	Decision on 26.05.2010
Issue consent to establish. Subsequently, inspection be conducted.
	Trade effluent:- 50 LPD.
No D.G Set.
G.W:- Nil
	Inspection conducted on 07.09.2010
during the inspection following were
observed: 
1.) Unit found operational and engaged in the activity of printing plates and colour seperated positive.
2.) The unit printing the plates as per order from outside.
3.) The washing activity is going on for plate washing which generate trade effluent. No ETP found at site.
	Issue SCN u/s 33(A) of the Water Act and u/s 5 of the EPA. 
	Issue SCN u/s 33(A) of the Water Act and u/s 5 of the EPA. 

	13
	25160
	12.03.2008
	SUPERTUCH
INDUSTRY
	B-54, 
	NARAINA 
INDUSTRIAL AREA PH-II
	powder coating
	Decision on
21.12.2009/22.12.2009
Issue consent to establish. Subsequently, inspection be conducted.
	Trade Effluent: nil
D.G. Set: nil
G.W.: nil
	Inspection conducted on 07.09.2010
during the inspection following were
observed:
1.) Unit found operational and engaged in the activity of powder coating.
2.) Unused powder get back inot the machine through pipe and used again.
	Issue SCN u/s 21/22 of the Air Act and u/s 25/26 of the Water Act for not obtaining consent to operate. 
	Issue SCN u/s 21/22 of the Air Act and u/s 25/26 of the Water Act for not obtaining consent to operate. 

	14
	28993
	12.02.2009
	ROOTS INC
	B-96/1, 2ND 
FLOOR
	NARAINA 
INDUSTRIAL AREA PH-I
	Readymade 
garments
	Decision on 07.05.2010 
Issue consent to establish. Subsequently, inspection be conducted.
	Trade effluent: 5 KLD
D.G. Set: 35 KVA (proposed)
	Inspection conducted on 07.09.2010
during the inspection following were
observed:
1.) Unit found operational and engaged in the activity of readymade garments.
2.) Washing activity carried out (not use any type of chemical use only normal washing occur) 
3.) 1 D.G. Set of 35 KVA found at site with accoustic enclosure and proper stack height.
	Issue SCN u/s 33(A) of the Water Act.
	Issue SCN u/s 33(A) of the Water Act.

	15
	25932
	06-02-08
	VINTAGE OFFSET PVT. LTD.
	C-206, PHASE-I
	NARAINA INDUSTRIAL AREA PH-I
	Offset Printing 
	Decision on 
12.02.2010/15.02.2010
Issue Consent to Establish. Subsequently, inspection be conducted.
	Date of commisioning: Not mentioned
Built up 1800 Sqm.
GW- 100 LPD
Tarde effluent: NIL
No D.G Set
	Inspection conducted on 07.09.2010
during the inspection following were
observed:
1.) Unit does not exist at site. As informed by the supervisor of address C-206, Phase-I, Naraina Industrial Area unit has been from here to another place at C-104/2, Phase-I, Naraina Industrial Area.
2.) The supervisor of the address unit C-206, Phase-I, Naraina Industrial Area did not tell about the name and activity of the industry which is currently operating at the above address.
	Issue SCN for revocation of consent to etablish to M/s Vintage Offset Pvt. Ltd. as the unit has been reported to have shifted to C-104/2 during inspection. Issue SCN u/s 31(A) of the Air Act & u/s 33(A) of the Water Act to the occupier of C-206, Phase-I for not revealing the information about the activity being carried out. 
	Issue SCN for revocation of consent to etablish to M/s Vintage Offset Pvt. Ltd. as the unit has been reported to have shifted to C-104/2 during inspection. Issue notice for inspection to the unit operating at C-206, Phase-I, Naraina Indl. Area, New Delhi

	16
	27058
	25.08.2008
	BLADE INDIA
	C-161,(BACK
SIDE)
	NARAINA 
INDUSTRIAL 
AREA PH-I
	Heat treatment
	Decision on 07.05.2010 
Issue consent to establish. 
Subsequently, inspection be conducted.
	Trade effluent: 170 LPD
D.G. Set: nil 
Year of commencement: Oct,2008
Plot area: 100 sqm.
	Inspection conducted on 07.09.2010
during the inspection following were
observed:
1.) Unit found operational and engaged in the activity of heat treatment.
2.) Two electric hot provided but not found in proper chimney and stack height.
3.) ETP found in operation, wet sludge found at ETP site.
4.) Unit generating hazardous waste and not follow the rules as per HWM except display boards.
5.) As per owner Mr. Rajiv Khannna unit is now under maintainance.
	Issue SCN u/s 21/22 of the Air Act and u/s 25/26 of the Water Act for not obtaining consent to operate incorporating the deficiencies found during the inspection and SCN u/s 5 of the EPA for not following the HWM Rules. 
	Issue SCN u/s 21/22 of the Air Act and u/s 25/26 of the Water Act for not obtaining consent to operate incorporating the deficiencies found during the inspection and SCN u/s 5 of the EPA for not following the HWM Rules. 

	17
	27803
	15-10-2008
	ASIPHA BEGUM
	A-3/1, 
PHASE-II
	MAYAPURI 
INDUSTRIAL 
AREA
	Mfg. of tiles, 
machines & moulds
	Decision on 07.05.2010 
Inspection be conducted in view of negative list of MPD-2021.
	Trade Eff: Nil
D.G. Set :Nil
Year of commencement: Nov, 2008
Plot Area:-190 sq. yards
	Inspection conducted on 09.09.2010
during the inspection following were
observed: 
1.) Two D.G. Set found installed having 25 KVA and 7.5 KVA capacity. One D.G Set of 7.5 KVA is not working yet.
2.) Painting activity is carried out at the site.
3.) Gas cutting using LPG, gas cylinder found at site.
4) No casting activity done. 
	Recommnended for grant of consent to establish. 
	Issue consent to establish. 

	18
	32874
	22-02-2010
	EXCEL GLOBAL
	C-191, 
PHASE-II
	MAYAPURI 
INDUSTRIAL 
AREA
	Trading & 
casting of ferrous and non-ferrous metal
	Decision on 16.03.2010
Issue consent to establish  with the condition that unit will not process the metals imported in the form of hazardous waste. Subsquently, inspection be conducted.
	CTE issued valid upto 25.04.2011.
Trade Eff: Nil
D.G. Set :Nil
Year of commencement: March,
2010
Plot Area:-300 sqm.
GW: 200 LPD
one pit furnance proposed
	Inspection conducted on 09.09.2010
during the inspection following were
observed: 
1.)Unit found non-operating.
2.) One another unit namly Acc International found working at the said address. As informed by the owner of the Acc International unit, excel global is not set up yet.
	Issue SCN for revocation of consent to establish to M/s Excele Global. 
Issue SCN u/s 21/22 of the Air Act and u/s 25/26 of the Water Act to M/s Acc International. 
	Issue SCN for revocation of consent to establish to M/s Excele Global. 
Issue SCN u/s 21/22 of the Air Act and u/s 25/26 of the Water Act to M/s Acc International. 

	19
	29166
	03-04-09
	FRONTIER 
BISCUIT FACTORY PVT. LTD.
	A-2/3, 
PHASE-II
	MAYAPURI 
INDUSTRIAL 
AREA
	Mfg. of bakery 
products
	Decision on 07.05.2010.
Issue consent to establish. Subsquently, inspection be conducted.
	Applied for CTO on 18.06.2009
CTE issued valid upto 06.06.2011.
Trade effluent:Nil
D.G. Set: 30 KVA (proposed)
	Inspection conducted on 09.09.2010
during the inspection following were
observed: 
1.) One D.G. Set of 62.05 KVA found installed with accoustic enclosure and proper stack height.
	Inspection report be put up along with the consent to operate application in chronology. 
	Inspection report be put up along with the consent to operate application in chronology. 

	20
	32740
	10.02.2010
	PARADISE 
INDUSTRY
	A-7 GROUND FLOOR,
PHASE-II
	MAYAPURI 
INDUSTRIAL AREA
	Mfg. of electrical 
contact points and rivets
	Decision on 16.03.2010
Issue consent to establish. Subsquently, inspection be conducted for check the phosphating activity.
	CTE issued valid upto 25.04.2011.
Trade Eff: 200 Lt/day
D.G. Set :140X1, 1X125 & 1X60 KVA proposed.
Year of commencement: April, 2010
Plot Area:-540 sqm.
	Inspection conducted on 09.09.2010
during the inspection following were
observed: 
1.)One D.G. Set found accoustic enclosure and proper stack height.
2.) Washing activity is carried out very rarely. ETP proposed, so that now a days washing prcoess is not done.
	Issue SCN u/s 21/22 of the Air Act and u/s 25/26 of the Water Act for not obtaining consent to operate clearly indicating not to set up any water polluting activity. 
	Issue SCN  u/s 33(A) of the Water Act for closure of the unit.

	21
	32297
	01.01.2010
	KRISHNA LAL CHHABRA
	H-14
	NANGLOI DSIDC INDUSTRIAL AREA
	Mfg of plastic compound & its moulding product
	Decision on 16.03.2010
Issue consent to establish. 
	CTE issued valid upto 25.04.2011.
Trade Eff: Nil
D.G. Set :Nil
Year of commencement: Feb, 2010
Gw:Nil
	Inspection conducted on 13.09.2010
during the inspection following were
observed: 
1.)Two exhaust fans are provided at site.
2.)Lot of smoke is generated in open area from hot mixture,no any pollution control divices are provide.
	Issue SCN u/s 21/22 of the Air Act and u/s 25/26 of the Water Act for not obtaining consent to operate incorpoating the deficiencies observed during the inspection. 
	Issue SCN u/s 31(A) of the Air Act for closure of the unit. 

	22
	26985
	18-08-2008
	PRABHU WIRES & COMPANY
	PLOT NO 340-A/19-A, GALI NO 1-B
	FRIENDS COLONY INDUSTRIAL AREA
	Copper wire drawing with super enamelling
	07.05.2010
Inspection be conducted.
	BUA: 67 sq yd
Ground Water: nil
Water Consumption: 200 lit/day
Waste Water:
(a) Domestic Effluent: 50 lit/day
(b) Trade Effluent: nil
Year of Establishment: Existing.

CTE issued on 26.12.02. Expired on 21.10.03
CTO issued on 31.03.04. Expired on 15.02.07.
Applied for CTE on 18.08.08
	Inspection has been conducted. Unit is closed and vacated the premises. No industrial activity was found. 
	Recommended for refusal of consent to establish.
	Issue SCN for refusal of consent.

	23
	26524
	18-07-2008
	LALIT INDUSTRIES
	B-45, DSIDC COMPLEX
	JHILMIL INDUSTRIAL AREA
	Mfg. of Sanitary Bath Fitting (Without Electroplating)
	05.08.2010.
Issue CTE subsequently, inspection be conducted.
	BUA: 80 sqm
Ground Water: nil
Water Consumption: 100 lit/day
Waste Water:
(a) Domestic Effluent: 80 lit/day
(b) Trade Effluent: nil 
Year of Establishment: 2008
	Inspection has been conducted. Unit is closed and vacated the premises. No industrial activity was found. 
	Recommended for revocation of consent to establish. 
	Issue SCN for revocation of consent.

	24
	34011
	28-05-2010
	BHARAT INDUSTRIES
	PLOT NO B-23
	JHILMIL INDUSTRIAL AREA
	Mfg. of brass sanitayr fittings with plating
	05.08.2010.
Inspection be conducted.
	BUA: 750 sqm
GW: Nil
Water Consumption: 300 lit/dy
Waste Water:
(a) domestic effluent: 20 lit/dy
(b) Trade Effluent:250 lit.dy
Year of  estblishment: Exisitng (2002)

CTO issued on 30.04.2003.
Applied for CTR on 06.02.2006.
Applied for CTR again on 28.05.2010.
	Inspection has been conducted. Unit has not provided ECS with buffing but suction arrangement with stack is provided.
	Ask the unit to install ECS over the bufing machines and submit adequacy report and stack monitoring report from approved consultant / laboratory of DPCC. 
	Issue SCN u/s 31(A) of the Air Act for closure of the unit. 

	25
	29239
	13-03-2009
	BUSH HARDWARE COLLECTIONS PVT. LTD.
	159, FIE
	PATPARGANJ INDUSTRIAL AREA
	Mfg. of Bathroom/ door fittings and hardware goods with buffing and electroplating
	07.05.2010.
Issue CTE subsequently, inspection be conducted.
	BUA: 450 sqm 
Ground Water: nil 
Water Consumption: 1450 lit/day
Waste Water:
(a) Domestic Effluent: 200 lit/day
(b) Trade Effluent: 1000 lit/day
Year of Establishment:2009
	Inspection has been conducted. Unit has provided ECS with buffing and ETP with plating plant.3- DG sets are kept in room accoustic and adequate stack height. Unit is in operation.
	Issue SCN u/s 21/22 of the Air Act and u/s 25/26 of the Water Act for not obtaining consent to operate. 
	Issue SCN u/s 21/22 of the Air Act and u/s 25/26 of the Water Act for not obtaining consent to operate. 

	26
	28627
	09-01-2009
	A.S. AUTOTECH PVT. LTD.
	32, FIE
	PATPARGANJ INDUSTRIAL AREA
	Repairing and servicing of two wheelers with washing
	07.05.2010.
Issue CTE subsequently, inspection be conducted.
	BUA:360 sqm
Ground Water: nil
Water Consumption: 1250 lit/day
Waste Water:
(a) Domestic Effluent: 150 lit/day
(b) Trade Effluent: 1000 lit/day
Year of Establishment:2009
	Inspection has been conducted. Unit has not provided ETP with washing plant. Waste water is being discharged into sewer without treatement. DG set of 15 KVA has not been provided with acoustic and  adequate stack height also not provided.Unit is in operation.
	Issue closure directions u/s 31(A) of the Air Act, u/s 33(A) of the Water Act and u/s 5 of the EPA. 
	Issue SCN for closure u/s 31(A) of the Air Act, u/s 33(A) of the Water Act and u/s 5 of the EPA. 

	27
	33474
	08-04-2010
	SANJAY ENTERPRISES
	21, GALI NO-3
	FRIENDS COLONY INDUSTRIAL AREA
	Mfg of Wire & Cables
	26.07.10
inspection be conducted.
	BUA: 100 sq mt.
GW: 900 Lt/Day
Water Consumption: 150 Lt/Day
Waste Water:
(a) domestic effluent: 50 Lt/day
(b) Trade Effluent: Nil
Year of  estblishment: 1979.
CTO issued on 04.02.2003. Expired on 23.07.2005.
Applied for CTR on 10.11.2006.

Letter issued.
Reply received from the unit with affidavit on 23.07.09.

Applied for renewal of conent on 08.04.2010.
	Inspection has been conducted. Unit has provided Hood and suction arrangement with the plant. No DG set is there.
	Recommended for grant of renewal of consent. 
	Issue renewal of consent. 

	28
	33792
	10-05-2010
	R.K. AUTOMOBILES
	PLOT NO B-13/4
	JHILMIL INDUSTRIAL AREA
	Servicing and repair of Automobiles with washing
	26.05.2010.
Issue CTE subsequently, inspection be conducted.
	BUA: 300 sqm
GW: Nil
Water Consumption: 5200 lit/day
Waste Water:
(a) domestic effluent: 100 lit/day
(b) Trade Effluent:5000 lit/day
Year of  estblishment: 24.05.2010
	Inspection has been conducted. Unit has provided ETP with washing plant. No DG set  has been provided.Unit is in operation.
	Issue SCN u/s 21/22 of the Air Act and u/s 25/26 of the Water Act for not obtaining consent to operate. Ask the unit to apply for authorization under HWM Rules.  
	Issue SCN u/s 21/22 of the Air Act and u/s 25/26 of the Water Act for not obtaining consent to operate. Ask the unit to apply for authorization under HWM Rules.  

	29
	33488
	09-04-2010
	AVON CHEMICALS
	B-8
	JHILMIL INDUSTRIAL AREA
	Mfg of Ferric Chloride Liquid
	Inspection be conducted for ascertaining the inclusion of the activity in negative list and also to ascertain the compliance of MSIHC Rules, 1989.
	BUA: 600 sq mt.
GW: Nil
Water Consumption: 400 Lt/Day
Waste Water:
(a) domestic effluent: 200Lt/day
(b) Trade Effluent: Nil
Year of  estblishment: 1995
VTO cancelled.
Applied for CTO on 29.03.2007.
Applied for CTO again on 09.01.2010.
	Inspection has been conducted. Unit is engaged in the activity of trading acids and chemicals and mfg of ferric chloride. Raw materials are ferrous chloride, liquid chlorine, iron scrap. Production capaity is 1200 kg/day and 10 tonne in a month as unit produces ferric chloride twice a week.Three liquid chlorine cylinders of capacity 900 kg each are used. 20 tonne of acid storage capacity is there. The unit also purchases ferrous chloride (their waste ) and copy of challan is attached with  I/R. Mfg of metal salts and processing of HW are enlisted in negative category in MPD 2021. IIT Delhi vide their advice to DPCC on dated 15/06/2004 had suggested grant of consent provided adeqate care taken for handling of liquid chlorine and unreacted chlorine from the reaction vessel. And also if the Unit meets MSIHC Rules. The Unit has provided small secondary reaction tank for the escaped chlorine. The threshold limit of liquid chlorine is 10 tonne, 25 tonne for rules 5,7 9, 13 & 15 and Rules 10 & 12 respectively. The unit has provided an open underground water tank for the storage of liquid chlorine 
containers.                                                                                                                                                                The unit has not applied for CTE. A/R of the control measures has also not been submitted.
	The unit under cosideration is engaged in mfg .of ferric chloride from the waste ferrous chloride collected from the pickling industries as confirmed vide IIT, Delhi letter dated 15.06.2004. The waste ferrous chloride is hazardous waste from the iron pickling industries. MPD-2021 notified on 07.02.2007 prohibits the industries involved in hazardous waste processing viz. hospital / medical / industrial waste. The mfg. of mineral salt which involves use of acid is also listed in negative list of MPD-2021. Although, use of acid in mfg. of ferric chloride could not be established during the inspection, the possibility of the aforesaid activity cannot be denied in view of large storage of acid found in the premises which the unit is using for trading purposes. There is no doubt that the unit is not a registered hazardous waste recycler. Therefore, trading / treatment  of waste ferrous chloride is in violation the HWM Rules, 2008. Issue SCN for closure in view of aforesaid facts including prohibition under MPD-2021. 
	Issue SCN for closure in accordance with the decision of Scrutinizing Committee.

	30
	34181
	11-06-2010
	VABROS (I) PVT.  LTD.
	PLOT NO236, FIE
	PATPARGANJ INDUSTRIAL AREA
	Electrical goods
	30.07.2010.
Inspection be conducted.
	CTO issued under Green on 26.12.02. Expired on 25.07.07
	Inspection has been conducted. Unit is non water polluting. A DG set  of 20 KVA has been provided  without accoustic enclosure.Unit is in operation.
	Recommended for grant of consent to establish with the condition to apply for consent to operate immediately. 
	Issue consent to establish, if unit submits report for installation of acoustic enclosure with the D.G. Set. 

	31
	22244
	09-07-2007
	HARISH PLASTICS
	C-76, SECTOR-5, DSIDC
	BAWANA INDUSTRIAL AREA
	Mfg of ice
	07.05.2010
Issue consent to establish. Subsequently inspection be conducted. Ask the unit to apply for authorization under HWM Rules.
	GW-4250l/day
New proposed unit
	1) Waste water discharged into the sewer
2)unit has 460 ice pieces Mfg. arrangement which takes 18 hrs. to complete the process

3)The unit has bore well as source of water & doesn't have CGWA permission 

4)DG Set of 82.5KVA found installed at Iind Floor without Acoustic enclosure and inadequate stack height  & as informed by the person that they are not using the DG Set & shown disconnected connection from the Battery.
	Issue SCN u/s 21/22 of the Air Act and u/s 25/26 of the Water Act for not obtaining consent to operate incorporating the deficiencies w.r.t. D.G.Set found during the inspection. 
	Issue SCN u/s 21/22 of the Air Act and u/s 25/26 of the Water Act for not obtaining consent to operate incorporating the deficiencies w.r.t. D.G.Set found during the inspection with the requirement to elaborate the measures taken for possibility of lekage of amonia gas. 

	32
	27099
	27-08-2008
	CHADHA ELECTRICALS
	PLOT NO. 154, POCKET-A, SECTOR-2, DSIDC
	BAWANA INDUSTRIAL AREA
	Mfg Electroplating Job
	07.052010
Issue consent to establish. Subsequently, inspection be conducted. Ask the unit to apply for authorization under HWM Rules.
	BUA: 60 Sq mt
GW: Nil
Water Consumption: 600 Lt/Day
Waste Water:
(a) Dommestic effluent : 150 Lt/Day
(b) Trade Effluent: 400Lt/ Day
Year of  estblishment: 2008
ETP proposed.
	Inspection conducted on 30.08.2010 and following were the deficiencies.:-
1)M/S Millenium Buttons is being operated their activity from the said premises without consent. As informed by the person Chadha, the allottee of the plot have not established their unit and rented out the premises to us.
2)the operating unit was formed engaged inn button Mfg. using polyster resin , chemical dyes , chemical catalyst for hardening &wax etc. as raw material,  after mixing poured into a rotating metal cylinder which make it polyster sheet. Smell observed.
3) blanking MC being used to make blank buttons as per size required. aAfter cooling process, buttons puts intermixing M/c's where drilling & shaping of edges being taken place. the turnig M/C's fitted with flexible pipes connected to verticle PVC pipes which furthur cnnected to a cyclon system which creates suction to suck the dust generated during turning process &dust after cyclon, collected in dust collector installed at roof top. Leakage was observed in the suction system.
3) the trade effluent ganerated during finishing process being discharged through settling tank.
	Issue SCN for revocation of consent to establish to M/s Chadha Electricals. 
Issue SCN u/s 33(A) of the Water Act and u/s 31(A) of the Air Act to  M/s Millenium Button. 
	Issue SCN for revocation of consent to establish to M/s Chadha Electricals. 
Issue SCN u/s 33(A) of the Water Act and u/s 31(A) of the Air Act to  M/s Millenium Button. 

	33
	29280
	18-03-2009
	MOHD. TARIQ
	PLOT NO 194, PHASE-II
	SHAHZADA BAGH INDUSTRIAL AREA
	Mfg. of S.S.Basket with electroplating
	07.05.2010

Issue consent to establish. Subsequently, inspection be conducted. Ask the unit to apply for authorization under HWM Rules.
	BUA:80 sqm
Ground Water: 300 lit/day
Water Consumption: 300 lit/day
Waste Water:
(a) Domestic Effluent: 60 lit/day
(b) Trade Effluent: 150 lit/day
Year of Establishment: 2009

Activity was found out to be Mfg. of S.S. Baskets with Electrocleaning as against Mfg. of S.S. Baskets with Electroplating.
	Inspection was conducted on 28.07.2010 Deficiencies were:-
- At basement of the premises fabrication of S.S Baskets Exists.
- At Ground Floor in the back portion electrocleaning of the S.S baskets was going on. No Nickle Electroplating/ electroless process of S,S Basket was found.
-  ETP was found installed which consists of equalization tank, settling cum reaction tank & sludge drying beds.
- The ETP was not in operation during inspection as informed by person contacted the tratment is being carried out by them in batches. No log book in this regards shown.
-  As informed they are in process to get the adequecy of the process from one of the consultants of DPCC
-  In front portion one plastic of ground floor & 1st floor exists with the name Anisur Rehman exists who has applied for CTR on 30.12.2008
	Issue SCN u/s 33(A) of the Water Act and u/s 5 of the EPA for not applying for authorization.
	Issue SCN u/s 33(A) of the Water Act and u/s 5 of the EPA for not applying for authorization.

	34
	26238
	01-07-2008
	CHIRANJI LAL JAIN OIL & FLOUR MILL
	E-47, SECTOR-2, DSIDC
	BAWANA INDUSTRIAL AREA
	manufacturing of Moong Dal
	07.05.2010issue consent to establish. Subsequently inspection be conducted
	BUA: 250 Sq mt
GW: 155 Lt/Day
Water Consumption: 155 Lt/Day
Waste Water:
(a) Dommestic effluent : 70 Lt/Day
(b) Trade Effluent: Nil
Year of  estblishment: 2008 
Cyclone separator  & bag filter house proposed.
	Inspection conducted on 02.08.2010 and following were the deficiencies.:-
- the unit was found in operation during the inspection.
- the unit having two drying chambers open from the top in which hot air is being given thruogh HSD Fired burners for drying of excessive moisture contents.
- Although the unit having a 96 bags. Bag house arrangement for trap of the emissions generated during the process.
- the process emissions from the different source being carried out though two Id. fans fitted with separate ducts, which connected  to the said bag house, no stack with bag house provided and the emissions after the bag house being dispersed through horizontal duct.
- The stack with dryer(HSD fired) were also found inadequate in height.
- The ducts/ Elevators provided/connected to each unit especially sievers/ destonres were found leaked at several points and in house conditions were found in very bad conditions. Lots of dust  was found spread over entire plant.
	Issue SCN u/s 31(A) of the Air Act. 
	Issue SCN u/s 31(A) of the Air Act. 

	35
	26604
	21-07-2008
	UNITECH HOME APPLIANCES
	K-135, SECTOR-5, DSIDC INDUSTRIAL COMPLEX
	BAWANA INDUSTRIAL AREA
	Mfg of Electrical Appliances
	07.05.2010issue consent to establish. Subsequently inspection be conducted
	BUA: 124.2 Sq mt
GW: 100 Lt /Day
Water Consumption: 100 Lt/Day
Waste Water:
(a) Dommestic effluent : 75 Lt/Day
(b) Trade Effluent:Nil
Year of  estblishment: 2008
	Inspection conducted on 04.08.2010
- The unit was found in operation
- No electroplating, powder coating activity
	Issue SCN u/s 21/22 of the Air Act and u/s 25/26 of the Water Act for not obtaining consent to operate. 
	Issue SCN u/s 21/22 of the Air Act and u/s 25/26 of the Water Act for not obtaining consent to operate. 

	36
	26611
	21-07-2008
	SURYA BATTERY INDUSTRIES
	PLOT NO 33, POCKET-M, SECTOR-5, DSIDC
	BAWANA INDUSTRIAL AREA
	Mfg of Auto Parts Packing & Fitting of AutoBattery
	07.05.2010issue consent to establish. Subsequently inspection be conducted
	BUA: 90 Sq mt
GW: 500 Lt/Day
Water Consumption: 500 Lt/Day
Waste Water:
(a) Dommestic effluent : 300 Lt/Day
(b) Trade Effluent: Nil
year of  estblishment 2008 
	Inspection was  conducted on 04.08.2010
- the unit found locked 
- as informed by the locals that the factory is yet to be established. Premises is laying vacant.
	Ask the unit not to operate without seeking consent to operate without DPCC. 
	Ask the unit not to operate without seeking consent to operate without DPCC. 

	37
	26614
	21-07-2008
	ADVANCE ELECTRONICS
	PLOT NO-93, POCKET-M, SECTOR-2, DSIDC INDUSTRIAL COMPLEX
	BAWANA INDUSTRIAL AREA
	Mfg of Plastic & Electronics Goods w/o Trade Effluent
	07.05.2010issue consent to establish. Subsequently inspection be conducted
	BUA: 60 Sq mt
GW: 400 Lt/Day
Water Consumption: 400 Lt/Day
Waste Water:
(a) Dommestic effluent : 200 Lt/Day
(b) Trade Effluent: Nil
year of  estblishment 2008 
	Inspection was  conducted on 12.08.2010
- thew unit is foundin operation. No electroplating activity found. The unit was found in operation in the activity of Plastic Moulding Work.
	Issue SCN u/s 21/22 of the Air Act and u/s 25/26 of the Water Act for not obtaining consent to operate. 
	Issue SCN u/s 21/22 of the Air Act and u/s 25/26 of the Water Act for not obtaining consent to operate. 

	38
	29048
	18-02-2009
	EBROR ELECTRPLATING WORKS
	PLOT NO 70, POCKET-A, SECTOR-4, DSIDC
	BAWANA INDUSTRIAL AREA
	Mfg of Hardware Goods & steel Furniture with Electroplating &Moulding Machines
	07.05.2010issue consent to establish. Subsequently inspection be conducted
	BUA: 60 Sq mt
GW: Nil
Water Consumption: 700 Lt /  Day 
Waste Water:
(a) Dommestic effluent: 150 Lt/ Day 
(b) Trade Effluent: 500Lt/Day
Year of  estblishment: March, 2009
	Inspection was  conducted on 11.08.2010

- The premise found locked 
- As informed by the locals that’s no industrial activity is being carried out in the premises, the premises is locked since long period.
	Ask the unit not to operate without seeking consent to operate without DPCC. 
	Ask the unit not to operate without seeking consent to operate without DPCC. 

	39
	30180
	03-06-2009
	NISHA CABLES CO. (P) LTD.
	PLOT NO 145, SECTOR-1, POCKET-L, DSIDC
	BAWANA INDUSTRIAL AREA
	Dal Mill
	12.05.2010 
Issue consent to establish. Subsequently inspection be conducted
	BUA: 250 Sq mt
GW: Nil
Water Consumption: 250 Lt/  Day 
Waste Water:
(a) Dommestic effluent: 200 Lt/ Day 
(b) Trade Effluent:Nil
Year of  estblishment: 2009
	Inspection was  conducted on 03.08.2010
- the installation of Machinary was going on .
- the activity of Dal Milling is yet to be started.
	Ask the unit not to operate without seeking consent to operate without DPCC. 
	Ask the unit not to operate without seeking consent to operate without DPCC. 

	40
	30181
	03-06-2009
	CARTEX AUTO SYSTEM
	PLOT NO 146, SECTOR-1, POCKET-L, DSIDC
	BAWANA INDUSTRIAL AREA
	Dal Mill
	12.05.2010 
Issue consent to establish. Subsequently inspection be conducted
	BUA: 250 Sq mt
GW: Nil
Water Consumption: 250 Lt/  Day 
Waste Water:
(a) Dommestic effluent: 200 Lt/ Day 
(b) Trade Effluent:Nil
Year of  estblishment: 2009
	Inspection was  conducted on 03.08.2010
- the activity  yet to be started. the installation of Machinary  was going on .
	Ask the unit not to operate without seeking consent to operate without DPCC. 
	Ask the unit not to operate without seeking consent to operate without DPCC. 

	41
	30167
	03-06-2009
	K.B.S. SONS & CO.
	308/4
	SHAHZADA BAGH INDUSTRIAL AREA
	PVC/Plastic Products & plating & finishing
	07.05.2010
Issue consent to establish. Subsequently inspection be conducted. Ask the unit to apply for authorization under HWM Rules.
	BUA: 50 sqm
Ground Water: nil
Water Consumption: 120 lit/day
Waste Water:
(a) Domestic Effluent: 20 lit/day
(b) Trade Effluent:30 lit/day
Year of Establishment:
july 2009
	Inspection conducted on 09.08.2010
- During the inspection the unit was found operating at premises no. 308/8. As informed by the person contacted that due to some reasons they have not established the unit at premises no. 308/4.
- Entire Effluent being discharged without treatment to public sewer
- No hood & suction arrangement over electrocleaning tank provided. A exhaust fan is provided for the disperssion of process emission in roof corner having duct/ chimney within premises to let off the process emission above roof.
- At premises no. 308/4 another unit found operational besides this type of unit.
	Issue SCN for revocation of consent to establish to M/s K.B.S. Sons & Co. at 308/4, Shahzada Bagh Indl. Area. 
Issue closure directions u/s 31(A) of the Air Act, u/s 33(A) of the Water Act and u/s 5 of the EPA to M/s K.B.S. Sons shifted at 308/8, Shahzada Bagh Indl. Area on the basis of findings of the inspection. 
	Issue SCN for revocation of consent to establish to M/s K.B.S. Sons & Co. at 308/4, Shahzada Bagh Indl. Area  and SCN for closure to occupier at 308/4, Shahzada Bagh Indl. Area.. 
Issue SCN for closure u/s 31(A) of the Air Act, u/s 33(A) of the Water Act and u/s 5 of the EPA to M/s K.B.S. Sons shifted at 308/8, Shahzada Bagh Indl. Area on the basis of findings of the inspection. 

	42
	25427
	7.042008
	pooja plating works
	109,pocket f, sec 1 DSIDC
	BAWANA INDUSTRIAL AREA
	Electropplating Job
	21.12.2009
issue consent to establish. Inspection be conduted.
	BUA: 60 sqm
Ground Water: nil
Water Consumption: 0.6klit/day
Waste Water:
(a) Domestic Effluent: 0.15 Klit/day
(b) Trade Effluent:0.4 Klit/day
Year of Establishment:
May  2008
	Inspection conducted on 03.08.10
- the unit was found in operation
- ETP found established but no treatment was going on. The ETP consists of equalization, reaction cum settling tank,sluge drying bags.
-No filter media in the sludge drying bed was seen
- the condition of ETP is under installation as informed by the person contacted the ETP is yet to be put on operational. During inspection effluent generated from process discharged without treatment.
	Issue SCN u/s 33(A) of the Water Act.
	Issue SCN u/s 33(A) of the Water Act.

	43
	29039
	17-02-2009
	S.K. SALES CORPORATION
	PLOT NO 163, POCKET-L, SECTOR-3
	BAWANA INDUSTRIAL AREA
	Thread Ball (Dyeing & Tubing of Thread)
	07.05.2010
Issue consent to establish. Subsequently inspection be conducted. Ask the unit to apply for authorization under HWM Rules.
	BUA: 60 Sq mt
GW: Nil
Water Consumption: 3200 Lt Per  Day 
Waste Water:
(a) Dommestic effluent: 100 Lt/ Day 
(b) Trade Effluent:3100 Lt/Day
Year of  estblishment: 2009
	Inspection conducted on 30.08.2010
- Premises found locked, howevera tea stall vendor Sh. Guddu &  reportedly  part time caretakers of the premises informed that no activity is being carried out in the premises, the premises is vacant. The previous factory has vacated the premises & the landlord is looking for new tenant.
	Ask the unit not to operate without seeking consent to operate without DPCC. 
	Issue SCN for revocation of consent to establish. 

	44
	20890
	20-03-2007
	ELECTROPLATERS & ENGRAVERS
	PLOT NO 198, POCKET-N, SECTOR-1, DSIDC
	BAWANA INDUSTRIAL AREA
	Mfg of printing cylinder for printing aluminium coils
	
09.09.2009

Issue Consent to Establish and subsequently inspection be conducted to know the present status of the unit. 
	BUA: 60 Sq mt
GW: 600lpd
Water Consumption: 600 Lt Per  Day 
Waste Water:
(a) Dommestic effluent: 150 Lt/ Day 
(b) Trade Effluent:400 Lt/Day
Year of  estblishment: April,2007
	Inspection conduted on 12.08.2010

premises found locked. As informed by the locals that no industrial activity is being carried out since long. No other industry/ industrial unit exists in the premises as per the enquiry from locals.
	Ask the unit not to operate without seeking consent to operate without DPCC. 
	Ask the unit not to operate without seeking consent to operate without DPCC. 
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	45
	30572
	30.07.09
	SAGAR RATNA HOTELS PVT. LTD. (SAGAR RATNA)
	B-1, A-11
	MOHAN CO-OPERATIVE INDUSTRIAL AREA
	restaurant
	              12.05.10
Issue consent to establish. Subsequently, inspection be conducted.
	1. Comencement:Jun 2004
2.Trade effluent-2500 Lt/day, ETP proposed
3.DG- 125 Kva
4. GW-3500 Lt/day
5.Earlier CTO valid upto 28.03.07. Fresh CTR not applied.
6. MCD and police license not submitted.
Inspection done on 28.07.10 and following observations were made:
1. Proper oil & grease trap & screening system has not been provided as materials were floating in the collection tank.
2. during the inspection it was obsered that the trade effluent is being by-passed w/o any treatment by closing the inlet of collection tank through gunny bags.
3. DG set of the unit is lying in a partially acoustically treated/broken room where one more DG set of 125 KVA belongs to M/s Asian Paints (office) located at 1st floor is also lying.
4. one borewell exist.
	Issue SCN u/s 31(A) of the Air Act and u/s 33(A) of the Water Act
	Issue SCN u/s 31(A) of the Air Act and u/s 33(A) of the Water Act

	46
	29792
	06-05-2009
	AALIANZ AUTOMOBILES
	A-24/4, MATHURA ROAD
	MOHAN CO-OPERATIVE INDUSTRIAL AREA
	repair/replacement of parts/service of cars.
	              07.05.10
Issue consent to establish. Subsequently, inspection be conducted. Ask the unit to apply for authorization under HWM Rules.
	1. Comencement: May 2009
2.Trade effluent-1500 lt/d, ETP Proposed
3.DG-160 Kva
4.GW-2800 Lt/day
5.CTO not applied.

Letter dt. 11.06.10 was issued asking the unit to apply for HWM authorization.

Inspection done on 28.07.10 and following observations were made:
1. No ETP installed to treat the trade effluent & trade effluent is being discharge without any treatment.
2. No acoustic enclosure provided with DG set.
3. Unit is not complying the provision on HWM Rules.
4. One borewell exist.
	Issue closure directions u/s 31(A) of the Air Act, u/s 33(A) of the Water Act and u/s 5 of the EPA.
	Issue SCN for closure u/s 31(A) of the Air Act, u/s 33(A) of the Water Act and u/s 5 of the EPA.

	47
	30821
	22-07-2009
	R.S.N. INDUSTRIES
	252, PHSE-III
	OKHLA INDUSTRIAL ESTATE
	mfg of dies, moulds, injection molding of mixer- juicer, refrigerator, washing machine, Air conditioner, energy meters
	             12.05.10
Issue consent to establish without trade effluent discharge. Subsequently, inspection be conducted to know  the powder coating activity.
	1. Comencement: 1975
2.Trade effluent-nil
3..DG-nil
4.GW-1000 lt/day
5. Earlier CTR valid upto 08.06.06. Applied for CTR on 08.11.06 vide id no 19722.
Inspection carried out on 29.07.10 & following observations were made:
1. one borewell exists in the whole premises no. 252 & same being used jointly by other two units, M/s Babulal Rajendra Kumar & M/s Mitsumi Electronics Pvt Ltd.
2. No powder coating activity found in the premises.
	Issue SCN u/s 21/22 of the Air Act and u/s 25/26 of the Water Act for not obtaining consent to operate. Inform to DJB regarding ground water extraction. 
	Issue SCN u/s 21/22 of the Air Act and u/s 25/26 of the Water Act for not obtaining consent to operate. Inform to DJB regarding ground water extraction. 

	48
	30817
	22-07-2009
	SPARTON SALES CORPORATION
	27, PHASE-III
	OKHLA INDUSTRIAL ESTATE
	mfg of toy & games, parts of electrical and electronic appliances gadgets
	              12.05.10
Issue consent to establish with the condition to send the e-waste to authorized recycler. Subsequently, inspection be conducted.
	1. Comencement: 1979
2.Trade effluent-nil
3..DG-2 no.s of 140 kva eah
4.GW-1000 lt/day
5. Earlier CTR valid upto 08.06.06. CTR applied on 08.11.06. Applied for CTR on 09.11.06 vide id no 19736.

Inspection carried out on 29.07.10 & following observations were made:
1. Unit is engaged in mfg. of Plastic moulded parts with the help of injection moulding m/c.
2. No e-waste is generated in the process.
3. one borewell exist in the premises which is commonly used by all the three units i.e. M/s universal Packaids, M/s Mitsumi Pvt Ltd & M/s Sparton Sales Corp.
	Issue SCN u/s 21/22 of the Air Act and u/s 25/26 of the Water Act for not obtaining consent to operate. Inform to DJB regarding ground water extraction. 
	Issue SCN u/s 21/22 of the Air Act and u/s 25/26 of the Water Act for not obtaining consent to operate. Inform to DJB regarding ground water extraction. 

	49
	30819
	22-07-2009
	UNIVERSAL PACKAIDS
	27, PHASE-III
	OKHLA INDUSTRIAL ESTATE
	mfg of parts of electrical & electronic appliances & PVC products
	             12.05.10
Issue consent to establish with the condition to send the e-waste to authorized recycler. Subsequently, inspection be conducted.
	1. Comencement: 1960
2.Trade effluent-nil
3..DG-nl
4.GW-1000 lt/day
5. Earlier CTR valid upto 04.06.06. CTR applied on 09.11.06. Applied for CTR on 08.11.06 vd id no 19723.

Inspection carried out on 29.07.10 & following observations were made:
1. Unit is engaged in mfg. of Plastic moulded parts with the help of injection moulding m/c.
2. No e-waste is generated in the process.
3. One borewell exist in the premises.
4. Unit has applied to CGWA & DJB for ground water extraction.
	Issue SCN u/s 21/22 of the Air Act and u/s 25/26 of the Water Act for not obtaining consent to operate. Inform to DJB regarding ground water extraction. 
	Issue SCN u/s 21/22 of the Air Act and u/s 25/26 of the Water Act for not obtaining consent to operate. Inform to DJB regarding ground water extraction. 

	50
	30820
	22-07-2009
	BABU LAL RAJENDER KUMAR
	252, PHASE-III
	OKHLA INDUSTRIAL ESTATE
	mfg of parts of electrical & electronic appliances
	             12.05.10
Issue consent to establish with the condition to send the e-waste to authorized recycler. Subsequently, inspection be conducted.
	1. Comencement: 1959
2.Trade effluent-nil
3..DG-140 Kva
4.GW-1000 lt/day
5. Earlier CTR valid upto 08.06.06. CTR applied on 08.11.06. Applied for CTR on 08.11.06 vd id no 19724.

Inspection carried out on 29.07.10 & following observations were made:
1. Unit found in operation.
2. One borewell exist & same being used jointly by other two units M/s RSN Industries & M/s mitsumi Electronics Pvt Ltd.
3. No e-waste is generated by the unit.
4. As reported, unit has apply to DJB for permission for ground water extraction.
	Issue SCN u/s 21/22 of the Air Act and u/s 25/26 of the Water Act for not obtaining consent to operate. Inform to DJB regarding ground water extraction. 
	Issue SCN u/s 21/22 of the Air Act and u/s 25/26 of the Water Act for not obtaining consent to operate. Inform to DJB regarding ground water extraction. 

	51
	33626
	22-04-2010
	A.V. INTERNATIONAL
	D-6/6, PHASE-II
	OKHLA INDUSTRIAL AREA
	Mfg of Readymade garments with washing
	             26.05.10
Issue consent to establish. Subsequently, inspection be conducted.
	1. Comencement-Jul 1994
2. Trade effluent-5000 lt/day, ETP proposed
3. DG-125 Kva
4. Boiler-One diesel fired + One electric fired
5. CTO not applied

Inspection carried out on 04.08.10 & following were observed:
1. Unit found in operation.
2. Unit having ETP (Batch Type) & same found in operation.
3. One bore well exist however as reported same was not in use since long back & source of water is tanker.
	Issue SCN u/s 21/22 of the Air Act and u/s 25/26 of the Water Act for not obtaining consent to operate. Inform to DJB regarding ground water extraction. 
	Issue SCN u/s 21/22 of the Air Act and u/s 25/26 of the Water Act for not obtaining consent to operate. Inform to DJB regarding ground water extraction. 

	52
	33627
	22-04-2010
	PINE PHARMA PVT. LTD.
	D-91/2, PHASE-I
	OKHLA INDUSTRIAL AREA
	Mfg. of drugs & medicines (Haemodialysis fluid liquid & powder)
	              26.05.10
Issue consent to establish. Subsequently, inspection be conducted.
	1. Comencement-2001
2. Trade effluent-500 lt/day, ETP proposed
3. DG-20 Kva
4. CTO not applied
5. HWM not applied

Inspection carried out on 03.08.10 & following observations were made:
1. the unit has installed an ETP (batch type) comprising of collection tank, reaction cum setteling tank, sludge storage tank. However, ETP was not in operation & trade effluent was being discharged without any treatment.
2. No sludge drying bed/ filter press has been provided with ETP.
3. the unit is not complying with the provisions of HWM Rules.
	Issue SCN u/s 33(A) of the Water Act and u/s 5 of the EPA. 
	Issue SCN u/s 33(A) of the Water Act and u/s 5 of the EPA. 

	53
	33628
	22-04-2010
	MICKY PRINT-O-PACK
	D-142-143, PHASE-I
	OKHLA INDUSTRIAL AREA
	Printing Press including Washing
	                 26.05.10
Issue consent to establish. Subsequently, inspection be conducted.
	1. Comencement-May 2010
2. Trade effluent-300 lt/day, ETP proposed
3. DG-40 Kva
4. CTO not applied
5. HWM not applied

Inspection carried out on 03.08.10 & following observations were made:
1. the unit has installed an ETP (batch type) which was found in operational condition.
the unit is not complying with the provisions of HWM Rules wrt storage of sludge.
3. Source of water is DJB & outside tankers.
	Issue SCN u/s 21/22 of the Air Act and u/s 25/26 of the Water Act for not obtaining consent to operate. 
	Issue SCN u/s 21/22 of the Air Act and u/s 25/26 of the Water Act for not obtaining consent to operate. 

	54
	30121
	29-05-2009
	BOUTIQUE INTERNATIONAL
	D-5/1, PHASE-II
	OKHLA INDUSTRIAL AREA
	mfg of readymade garmnets.
	                      16.03.2009
Call on 20.03.2009                     
                      20.03.2009
Ask the unit to apply for Consent to Establish, noise monitoring report of D.G. Set from approved laboratoires of DPCC and affidavit about source of water supply.  Call on 29.04.2009.
                      11.05.2009
Issue final reminder for full compliance of earlier CMC decision. Call on 24.06.2009
                      24.06.2009
Issue SCN for refusal of consent. Call on 26.08.2009 
                      12.05.10
Issue consent to establish. Subsequently, inspection be conducted.
	Reply received along with adequcay report of Jun 2006 and NMR of DG Set. Affidavit for the source of water supply not submitted.

1. Comencement:2009
2.Trade effluent-6000 lt/day, ETP installed
3.DG-250 kva (Stack height inadeqaute as per NMR)
4.GW-nil
5. CTO applied on 21.06.05. Fresh CTO not applied.
Inspection carried out on 06.08.10 & following were observed:
1. Unit found in operation & not applied for CTO.
2. Unit is having ETP & was found in operation.
	Fresh Consent to esablish applied on 19.08.2010 be made infructous as the consent to establish has already granted. Issue SCN u/s 21/22 of the Air Act and u/s 25/26 of the Water Act for not obtaining consent to operate. 
	Fresh Consent to esablish applied on 19.08.2010 be made infructous as the consent to establish has already granted. Issue SCN u/s 21/22 of the Air Act and u/s 25/26 of the Water Act for not obtaining consent to operate. 

	55
	29570
	17-04-2009
	SHORE TO SHORE MIS PVT LTD.
	A-50, PHASE-I
	OKHLA INDUSTRIAL AREA
	printing paper
	                   07.05.10
Issue consent to establish. Subsequently, inspection be conducted. Ask the unit to apply for authorization under HWM Rules.
	1. Comencement:May 2009
2.Trade effluent-500 lt/d, ETP Shall be installed.
3.DG-250kva
4.GW-nil
5.CTO not applied but for the CTE in green already granted on 21.08.08 vd. Id. No. 18740 for the activity of packing of material.
Letter dated 17.06.10 is issued to the unit for the submission of application under HWM Rules.
Inspection carried out on 11.08.10 & following were observed:
1. the unit has installed an ETP which was found in operational condition.
2. As reported, the unit is in operation 3-4 months back.
3. The unit is not complying with the provisions of HWM Rules wrt storage.
4. Source of water is outside tanker.
	Issue SCN u/s 21/22 of the Air Act and u/s 25/26 of the Water Act for not obtaining consent to operate incorporating the deficiencies found during the inspection and SCN u/s 5 of the EPA for not following the HWM Rules. 
	Issue SCN u/s 21/22 of the Air Act and u/s 25/26 of the Water Act for not obtaining consent to operate incorporating the deficiencies found during the inspection and SCN u/s 5 of the EPA for not following the HWM Rules. 

	56
	33205
	18-03-2010
	DIMPLE CREATIONS PVT. LTD.
	B-35, PHASE-I
	OKHLA INDUSTRIAL AREA
	Mfg. of readymade garments w/o washing
	In CTR (Green)
             01.02.10
Issue SCN for refusal and SCN for closure based on the findings of inspection.
     26.05.10 (ORANGE)
Unit be directed to stop its operation immediately and not to start unless installation of pollution control devices. The unit is required to submit the adequacy report and effluent analysis report from approved agencies of DPCC. 
             26.07.10
Inspection be expedited. 
	1. Comencement-Apr 2010
2. Trade effluent-Nil
3. DG-125KVA & 75 KVA
4. CTE under Orange category applied on 18.03.10 vd id no. 33205.
5. CTO under Orange category applied on 06.04.10 vd id no. 33429.
6. CTR under Green category also applied on 27.08.09 vd id no. 31241 and was made infructuos as the unit has applied under orange category.
7. NMR & stack monitoring reports submitted on 19.02.10

SCN were issued on 09.03.10.

Inspection was carried out on 03.08.10 & following were observed:
1. The unit was found in operation.
2. No washing activity was observed during inspection.
3. Adequate stack height has not been provided with diesel fired boiler.
4. Source of water is outside tankers.
	Ask the unit to correct the deficiencies observed during the inspection and submit an affidavit in this regard. 
	Ask the unit to correct the deficiencies observed during the inspection and submit an affidavit in this regard. 

	57
	29981
	20.05.09
	RRB ENERGY LTD.
	GA-1/B-1, MATHURA ROAD
	MOHAN CO-OPERATIVE INDUSTRIAL AREA
	wind turbine controllers & parts thereof.
	           07.05.10
Case be considered after implementation of decision of scrutinizing committee.
	1. Comencement-2007
2. Trade effluent-Nil
3. DG-2 X 250 KVA& 125 KVA 
4. GW-2 KLD
5.CTO not applied.
Inspection was carried out on 28.07.10 & following were observed:
1. Unit found in operation & engaged in assembling of electronic controllers, control card for wind Turbine.
2. As reported, very minimal e-Waste generated & same is sent to approved recyclers, however no documented proof provided.
	Recommended for grant of consent to establish with the condition to send the e-waste to authorized recycler.
	Issue consent to establish with the condition to send the e-waste to authorized recycler.

	58
	33357
	29-03-2010
	WEAR WELL INDIA (P) LTD.
	D-21/1, PHASE-I
	OKHLA INDUSTRIAL AREA
	Mfg of Readymade garments w/o washing
	              26.05.10
Issue consent to establish. Subsequently, inspection be conducted.
	1. Comencement-May 2008
2. Trade effluent-Nil
3. DG-3 no.s of 82.5 Kva each.
4.  Boiler-Two diesel fired
5. CTO under orange not applied
6. CTE under Green category issued on 25.06.08 vd id no. 18599. 
7. CTO under Green category valid upto 05.10.09 vd id no. 22282.
Now applied under Orange category due to introduction of boiler.
Inspection carried out on 13.07.10 & following were observed:
1. No washing of garment activity was obsered during inspection.
2. Stack height with oil fired boiler found inadequate.
3. Unit has removed one DG Set for 82.5 KVA from the premises.
	Issue SCN u/s 21/22 of the Air Act and u/s 25/26 of the Water Act for not obtaining consent to operate. 
	Issue SCN u/s 21/22 of the Air Act and u/s 25/26 of the Water Act for not obtaining consent to operate. 

	59
	33639
	23-04-2010
	AMBE AUTO
	D-9/5, PHASE-I
	OKHLA INDUSTRIAL AREA
	Washing & Servicing of two wheelers
	             26.05.10
Issue consent to establish. Subsequently, inspection be conducted.
	1. Comencement-May 2010
2. Trade effluent-5000 lt/day, ETP proposed
3. DG-40 Kva
4. CTO not applied
5. HWM not applied

Inspection carried out on 04.08.10 & following were observed:
1. Unit found in operation.
2. Unit has installed ETP but ETP found not in operational condition & trade effluent is being discharged without any treatment at site.
3. No wet/ dry sludge found exist.
4. Unit is not complying with the provision of HWM Rules.
	Issue SCN u/s 33(A) of the Water Act and u/s 5 of the EPA. 
	Issue SCN u/s 33(A) of the Water Act and u/s 5 of the EPA. 

	60
	33323
	26-03-2010
	SUPREET RETREADS
	67, DSIDC, PHASE-II
	OKHLA INDUSTRIAL AREA
	Tyre retreading (job work)
	             26.05.10
Issue consent to establish. Subsequently, inspection be conducted.
	1. Comencement-Apr 2010
2. Trade effluent-Nil
3. DG-40 Kva
4. CTO not applied.
5. Boiler/Furnance: nil
As per the Mfg. process, heating & curing process involve. However, the source of heating have not been mentioned.

Inspection carried out on 04.08.10 & following were observed:
1. Unit found in operation.
2. Unit is using hot air chamber for curing of tyre.
	Issue SCN u/s 21/22 of the Air Act and u/s 25/26 of the Water Act for not obtaining consent to operate. 
	Issue SCN u/s 21/22 of the Air Act and u/s 25/26 of the Water Act for not obtaining consent to operate. 

	61
	33926
	20-05-2010
	R.S. GARMENTS
	D-4/3, PHASE-II
	OKHLA INDUSTRIAL AREA
	Manufacturing of Readymade garments. 
	In CTE application (refused),

20.10.09
Inspection by Trainee, CMC be conducted.
12.02.2010 / 15.02.2010
Refusal of consent and issue closure directions to M/s R.S. Garments
Closure directions to M/s Pooja Fashion and issue SCN for closure to M/s Solar Printing Press.
26.05.10
Decision taken on file to seek the Bank Guarantees of Rs. One Lakh each under Air Act and Water Act valid for one year separately from both the units namely M/s R.S. Garments and M/s Pooja Fashion and to ask M/s R.S. Garments to apply for consent to establish and consent to operate under orange category, and to revoke the closure directions issued on 26.03.2010, if the units do so and to conduct inspection in case of M/s Solar Printing Press ratified.
	1. Comencement-01.07.10
2. Trade effluent- nil 
3. DG- 110 kva.
4. Boiler- 1 diesel fired boiler exist.
5. Earlier CTE refused on 25.03.10 vd. Id. No. 1984. As per the enquiry counter record, Unit has applied CTE two times i.e. CTE dt. 10.06.10 vd. Id. No. 34164 & CTE dt. 20.05.10 vd. id. no. 33926. CTO not applied.
6.  Bank Guarantees of Rs. 1 Lakh each under  Air Act & Water Act valid for 
one year submitted on 08.06.10.

Inspection carried out on 06.08.10 & following were observed:
1. Unit found in operation at basement, Ist, IInd & IIIrd floors.
2. No washing of garment activity observed during inspection.
3. As reported M/s Solar Print Process Pvt Ltd has closed down the activity from basement of premises & removed plant and machienry.
	Inspection report be put up along with the consent to operate application in chronology. 
	Inspection report be put up along with the consent to operate application in chronology. 

	62
	33638
	23-04-2010
	LEATHER & TEXTILE INC.
	B-164, PHASE-I
	OKHLA INDUSTRIAL AREA
	Mfg. of Leather Garments
	             26.05.10
Inspection be conducted w.r.t. trade effluent discharge. 
	1. Comencement-May 2010
2. Trade effluent-7000 lt/day, ETP Proposed
3. DG- 62.5 Kva
4. CTO not applied

Inspection Carried out on 09.08.10 & following were observed:
1. The unit is engaged in mfg of Leather Accessories & mfg of Readymade Garments including Washing.
2. No ETP has been installed to treat the trade effluent generated from washing.
3. Adequate stack height has not been provided with the oil fired boiler.
4. Adequate stack height & acoustic enclosure has no been provided with the DG Set of 62.5 KVA.
5. One Bore Well exists.
	Issue closure directions u/s 31(A) of the Air Act and u/s 33(A) of the Water Act. Inform to DJB regarding ground water extraction. 
	Issue SCN for closure u/s 31(A) of the Air Act and u/s 33(A) of the Water Act. Inform to DJB regarding ground water extraction. 

	63
	31559
	25-09-2009
	GENESIS PRINTERS
	D-86, PHASE-I
	OKHLA INDUSTRIAL AREA
	Printing
	         07.10.2009
Issue Conent to operate, Consent to Establish and authorization under HWM Rules.
	1. Comencement: 15.06.09
2.Trade effluent-200L/d
3.DG-30KVA
4.GW- nil
5. CTE obtained on 23.10.09 vd CNO 21549 & CTO obtained & valid upto 24.09.12

Inspection carried out on 11.08.10 as per approval on file & following were observed:
1. The unit has installed an ETP (Batch Type) in a corner of washing section & it is not possible to inspect & observe the working of all the units of ETP.
2. No wet sludge was observed, however, record is being mantained in a register by fabrication 
3. Some dry sludge was observed in a tank. It was reported by Sri Anil worker of the unit that the dry sludge is disposed off outside the premises.
4. It reveals from the condition that ETP is not operated regularly.
5. It is reported that screen printing frame of the unit located C-86, DDA Shed, OIA, Phase-I are also washed in this unit.
6. No printing Ink waste residue was found stored in the premises.
	Issue SCN for revocation of consent to operate and authorization. Issue SCN u/s 33(A) of the Water Act and u/s 5 of the EPA. 
	Issue SCN for revocation of consent to operate and authorization. Issue SCN u/s 33(A) of the Water Act and u/s 5 of the EPA. 
File of  M/s Genesis Printers, C-74, DDA Shed, Phase-I, Okhla Industrial Area, New Delhi be put up administratively.

	64
	30758
	17-07-2009
	ASIAN LABORATORIES
	87-88, DSIDC SHED, SCHEME-I, PHASE-II
	OKHLA INDUSTRIAL AREA
	blending of powder with water & formulating construction chemicals
	        12.05.10
Inspection be conducted for ascertaining exactly activity. 
	1. Comencement: sept 2009
2.Trade effluent-Nil
3.DG-25 Kva
4. CTO not applied.

Inspection carried out on 04.08.10 & following were observed:
1. The unit was found in operation &  engaged in Mfg of Super Plasticizer for Concrete & Water Proofing Products.
2. Three different chemicals such as dextrine, glucose, polymol (naphthalene sulfonate) are mixed in certain proportionate and diluted with water and blended for half/ one hour in the kettles.
3. The final product super plasticizers is used in concrete industry to improve strenght and plasticity (to modify the properties of concrete).
4. Waste water generated from testing lab & hand wash are re-used.
5. DG Set has not been provided with acoustic enclosure.
6. One bore well exists.
7. As per information provided by unit chemical description of POLYMOL GH LIQUID is Sodium Naphthalene Sulfonate- formaldehyde dispersants.
	Refer this case to IIT, Delhi for examination whether this activity falls in negative list / prohibited activity as per MPD-2021 in view of different chemicals being used.
	Refer this case to IIT, Delhi and CPCB to seek clarification whether this activity falls in negative list / prohibited activity as per MPD-2021 in view of different chemicals being used. Case be referred with the complete relevant information along with the provisions of MPD-2021.

	65
	33155
	15-03-2010
	JAI AUTO ( A UNIT OF J.S.B. AUTO PVT. LTD.)
	A-39
	MOHAN CO-OPERATIVE INDUSTRIAL AREA
	Servicing & washing of vehicles with repairing , denting & painting
	              26.05.10
Issue consent to establish. Subsequently, inspection be conducted.
	1. Comencement-Apr 2010
2. Trade effluent-7500 lt/day, ETP proposed
3. DG-105 KVA
4. CTO not applied
5. HWM not applied

Inspection carried out on 28.07.10 & following were observed:
1. The unit has installed an ETP which was found in operational condition.
2. As reported the unit is in operation about last 2-3 months.
3. The unit is not complying with the provisions of HWM Rules.
4. One bore well exists.
5. Adequate stack height has not been provided with the paint booth.
	Issue SCN u/s 21/22 of the Air Act and u/s 25/26 of the Water Act for not obtaining consent to operate. Also issue SCN u/s 5 of the EPA for not following the HWM Rules.  Inform to DJB regarding ground water extraction. 
	Issue SCN u/s 21/22 of the Air Act and u/s 25/26 of the Water Act for not obtaining consent to operate. Also issue SCN u/s 5 of the EPA for not following the HWM Rules.  Inform to DJB regarding ground water extraction. 

	66
	22457
	16-07-2007
	SPIRIT GLOBAL PVT. LTD
	COMMERCIAL COMPLEX AT PLOT NO-9, JASOLA DISTRICT CENTRE
	NC-S
	Office Complex
	                                18.12.2008
The unit came for personal hearing today.  It has started its construction in 2005 with the project cost of Rs. 54.06 Crores and without applying for Consent to Establish till 16.07.2007. Secondly, it is misrepresenting its built up area as less than 20,000 sqm and when the IIT Survey Team measured the area it was found to be more than 20,000 sqm and therefore requiring environmental clearance which was not taken. Thirdly, the unit has started operation without taking Consent to Establish. Fourthly the SIT found several deficiencies during inspection in August, 2008. The unit was found drawing ground water without CGWA clearance and releasing 45 KLD of waste water without providing STP/ETP. The effluent analysis carried out by DPCC laboratory found all the parameters exceeding the prescribed standards.  In view of the above, the Committee strongly felt that this is a fit case of closure; therefore, notice for closure must be issued immediately giving 15 days time. Call on 07.01.2009.
07.01.2009 :Call on 28.01.2009 for final decision.
28.01.2009: Reply be examined carefully and file be  put up administratively within 01 week.
16.02.2009 :Sh. A.N. Singh, Scientiest, DOE 
to study the reply w.r.t. SIT deficiencies and 
submit the file administratively within a week.
 21.01.10 : Inspection be conducted to know 
the present status to decide the next 
course of action w.r.t. closure. 
	Inspection carried out on 03.08.10 & following were observed:
1. Commercial complex has about 80% occupancy.
2. Application for CTO has not been submitted.
3. STP is operated in batches.
4. No sludge was found. Sludge drying bed has not been provided.
5. By-pass facility exists to drain out effluent directly w/o treatment.
6. No facility to re-use the treated effluent.
7. No Oil & Grease removal facility exists in the STP.
8. Open area is not connected with rain water harvesting.
9. Solar lightining system has not been provided.
10. Energy saving lights such as CFL have not been provided in the basement.
11. No space left for Green Belt.
12. Doors of DG Sets room to be treated acoustically.
	Issue SCN u/s 33(A) of the Water Act and also to ask the unit to submit completion certificate clearly indicating the built up area.
	Issue SCN u/s 33(A) of the Water Act and also to ask the unit to submit completion certificate clearly indicating the built up area.

	67
	33933
	21-05-2010
	STERLING AUTOMOBILES PVT.LTD
	A-40
	MOHAN CO-OPERATIVE INDUSTRIAL AREA
	Car Washing and Servicing. 
	              26.07.2010
Issue consent to establish. Subsequently, inspection be conducted.
	1. Comencement-June 2010.
2. Trade effluent- 15 kl/d, ETP installed.
3. DG- nil as per application but on affiavit 125 kva DG Set proposed.
4.  CTO not applied.

Inspection carried out on 08.09.2010 & following were observed:
1. Unit found in operation.
2. Unit having ETP & same found in operation.
3. One DG Set (75 KVA) found w/o acoustic enclosure & inadequate stack height.
4. Stack height with paint booth found inadequate.
5. One bore well exists.
6. Unit is not complying with the provisions of HWM Rules.
	Issue SCN u/s 21/22 of the Air Act and u/s 25/26 of the Water Act for not obtaining consent to operate incorporating the deficiencies found during the inspection and SCN u/s 5 of the EPA for not following the HWM Rules. 
	Issue SCN u/s 21/22 of the Air Act and u/s 25/26 of the Water Act for not obtaining consent to operate incorporating the deficiencies found during the inspection and SCN u/s 5 of the EPA for not following the HWM Rules. 
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	68
	27605
	29-09-2008
	HOTEL MARINA
	G-59, CONNAUGHT CIRCUS
	NC-ND
	4 Star Hotel
	BUA :  1.286 Acres
EC : 
Water Consumption :50 KLD
Waste Water generation : 
(a) Domestic effluent: 20KLD
(b) Trade effluent: 25 KLD
Total Project Cost : 15.02 Crores
Date of Commissioning: April 2009
	14.01.2009.Call for persdonal hearing on 2.02.09 at 5:30 pm.
02.02.2009 :The unit came for personnel hearing today. The trade effluent is about 25 KLD as per consent to establish application and estimated waste water discharge comes to more than 10 KLD. The unit is advised to set up biological ETP of 30 KLD capacity to cover treatment of entire waste water generation.
The unit is also advised to reuse the treated waste water in cooling tower and toilet flushing. the remaining conditions already enunciated be also complied with by the unit. Call on 18.03.2009 for intern report.
20.03.2009
Ask the unit to confirm full compliance on an affidavit. Call on 29.04.2009.
11.05.2009
Time allowed to submit affidavit confirming full compliance of earlier CMC decision communicated.Issue letter waiting for minutes. Call on 22.05.2009.
22.05.2009:Call on 08.07.2009.
05.08.2010.:Issue consent to establish.Subsquently, inspection be conducted.
	
Inspection done on 08.09.2010.
Observations:
1.During inspection hotel was found operational.
2. ETP installed but was not in working condition and inadequate.
3.Effluent is directly being dischargedinto sewer without treatment.
4. Two D G set installed with adequate stack height.
5. Boiler instaled but stack height is inadequate.
6.Unit has not applied for consent to operate yet.
CTO granted and valid up to 23.07.2005
CTR granted and valid up to 23.07.2008
One DG set of 625 KVA proposed.
Reply received on 22.05.2009 along with an affidavit.
CTE applied in view of renovation work. 
	Issue SCN u/s 33(A) of the Water Act and u/s 31(A) of the Air Act.
	Issue SCN u/s 33(A) of the Water Act and u/s 31(A) of the Air Act.

	69
	28898
	05-02-2009
	HOTEL ALKA
	P-16, CONNAUGHT CIRCUS, NEW DELHI
	NC-ND
	3 Star Hotel (Restaurant services)
	BUA :  3302 Sqm
EC : NA
Water Consumption :4KLD
Waste Water generation : 
(a) Domestic effluent:0.5KLD 
(b) Trade effluent: 4.0KLD
Total Project Cost : Rs. 4,69,19,201.69
Date of Commissioning: Dec 2007
	05.08.2010.
Inspection be conducted and MCD licence and Delhi Police be also ascertained during the inspection.
	Inspection done on 08.09.2010.
Observations:
1.During inspection unit was found operational.
2. Unit has installed ETP but was not functional during inspection.As informed it is under weekly maintainance.
3. No by-pass arrangement exists.
4. Unit has not applied for CTO, however they have adequacy report of their ETP(physio-chemical) dated 11.11.2008.
5. Stack height of D G set and boiler are adequate.
6. No flow measuring device installed at outlet as adviced by GGSIPU in their adequacy report.
7. Proper channelisation provided in their kitchen.
8.NDMC and Police licence copy obtained.
	Recommended for grant of consent to establish with the condition to install flow measuring devices as suggested in adequacy report. Issue SCN u/s 21/22 of the Air Act and u/s 25/26 of the Water Act for operating without consent to operate.
	Issue SCN u/s 33(A) of the Water Act for closure of the unit.

	70
	21060
	18-04-2007
	NAV TECH (BRANCH UNIT)
	M-20, PHASE-I
	BADLI INDUSTRIAL ESTATE
	Buffing of S.S. Cutlery items
	Plot area:250 sq.m
Water Consumption :1000 LD
Waste Water generation : 
(a) Domestic effluent: 500 LD
(b) Trade effluent: Nil

Date of Commissioning: October 2007.
	09.09.2009.
Issue Consent to Establish and subsequently inspection be conducted to know the present status of the unit. 
	Inspection done on 31.08..2010.
Observations:
1.Unit was found operating during the inspection. 
2.Unit having 2 buffing sections, out of which ECS of one buffing section is not working and no suction observed resulting significant process emission. At other buffing section, ECS was working. 
3. Dust collector lying at roof top and found full of dust/choked.
CTE valid upto 27.10.2010.
	Issue closure directions in view of the public notice issued w.r.t. Commonwealth Games-2010. Consent to operate be refused. 
	After recommendation of Scrutinizing Committee, unit has submitted representation and confirmation of rectification of deficiencies on affidavit on 25.10.2010 and requested for revocation of closure directions. Ask the unit to submit Bank Guarantee of Rs. 1 Lakh under Air Act valid for one year. If unit submits Bank Guarantee, closure directions be revoked. 

	71
	29526
	15-04-2009
	ASIAN CUTLERY
	M-20, PHASE-I
	BADLI INDUSTRIAL ESTATE
	Mfg of SS cutler with buffing/ polishing
	Plot Area:400sq mt
Year of establishment-2009, april
Trade effluent-NIL
DG set-NIL
	07.05.2010.
Issue consent to establish. Subsequently, inspection be conducted.
	Inspection was done on 31.08.2010.
Observations:
1.1. Unit was found operating engaged in the activity of Buffing S.S cutlery.
2. No ECS installed, process emission generated from buffing, observed.
3. Another unit found operating at ground floor, M/s Navtech engaged in mfg. of S.S cutlery with buffing.
CTE valid upto 01.06.2011.
	Issue closure directions in view of the public notice issued w.r.t. Commonwealth Games-2010. Consent to operate be refused. 
	After recommendation of Scrutinizing Committee, unit has submitted representation and confirmation of rectification of deficiencies on affidavit on 18.10.2010 and requested for revocation of closure directions. Ask the unit to submit Bank Guarantee of Rs. 1 Lakh under Air Act valid for one year. If unit submits Bank Guarantee, closure directions be revoked. 

	72
	23568
	20-09-2007
	NARENDERA INDUSTRIES
	S-59, PHASE-I
	BADLI INDUSTRIAL ESTATE
	Pickling & Re-Rolling of S.S Sheets
	Plot area:250 sq.m
Water Consumption :3.2KLD
Waste Water generation : 
(a) Domestic effluent:0.1KLD
(b) Trade effluent: 3.0KLD

Date of Commissioning: 2001.
	16.03.2009 Ask the unit to file permission from CGWA for extracting the GW and status of installation of  ECS & ETP and installation of DG Set.  Also ask the unit to submit an action plan for stoppage of the activity before 07.02.2010, which falls under negative list as per  MPD-2021 and an actin plan for new proposed activity in conformity with MPD-2021 on the vacant plot due to closure of present activity.
11.05.2009 as the unit to file an affidavit stating that they have stopped pickling activity, removed ETP & ECS from the premises and there is no DG Set in the uniut. also ask the unit to file permission from DJB for ground water extractiona s per new orders
24.06.2009 ask the unit to file full compliance within 01 month.
20.10.2009.
Inspection be conducted.
	Inspection done on 13.07.2010.
Observations:
1. Unit is operating on half portion of ground floor and 2nd floor, found closed.
2. At present, ground floor is being used by M/s Puri opticals, engaged in the activity of hot re-rolling and cold re-rolling activity. This unit has applied for CTO(R)
3. No water polluting activity observed in the premises.
CTR applied on 15.04.2009
Unit have submitted affidavit that they have stopped pickling activity, removed ETP/ECS & there is no DG set.
	Consent to establish and renewal of cosnent be made infructuous. 
	Consent to establish and renewal of cosnent be made infructuous. 

	73
	29527
	15-04-2009
	IMPEX SANITATION
	C-58 (TOP FLOOR)
	WAZIRPUR INDUSTRIAL AREA
	Mfg of steel kitchen sink & sanitary goods
	Plot Area:50sq yards
Year of establishment-April, 2009
Trade effluent-NIL
DG set-NIL
	
07.05.2010.
Issue consent to establish. Subsequently, inspection be conducted.
	Inspection done on 03.08.2010.
Observations:
1) Unit found operating engaged in mfg. of s.s sink with buffing and spray painting plus acrylic fibre sheet door manufacturing.
2) ECS installed were not working properly. Hoods are too small to trap the emission generated from buffing of sink.Spray painting and acrylic fibre door work is not shown in consent application.
3) HWM rules are not complied with.
CTE valid upto 01.06.2011.
	Issue SCN u/s 31(A) of the Air Act and u/s 5 of the EPA.
	Issue SCN u/s 31(A) of the Air Act and u/s 5 of the EPA.
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	25221
	18-03-2008
	R.K. STEEL
	A-12, GROUP;
	WAZIRPUR INDUSTRIAL AREA
	Re-Rolling & Pickling of S.S.Sheets
	BUA : 288 Sqm
EC : NA
Water Consumption : 3.4KLD
Waste Water generation : 
(a) Domestic effluent:0.1KLD 
(b) Trade effluent: 3.2KLD

Date of Commissioning:  2008
	   07.01.2009
Call on 25.02.2009
            25.02.09
Ask the unit to submit an action plan for stoppage of the activity before 07.02.2010, which falls under negative list as per MPD-2021 and an action plan for new proposed activity in conformity with MPD-2021 on the vacant plot due to closure of present activity.Call on 15.04.2009
              29.04.09
Public notice to be issued for closure of units, by 06.02.2010, engaged in the activities falling under negative list as per MPD 2021.
21.12.2009/22.12.2009.
Inspection be conducted.
	Inspection was done on 01.06.2010.
Observations:
1.1. Unit was found operating engaged in the activity o fS.S cold re-rolling & pickling.
2. ETP found installed and operating.
3. ECS found installed but not working properly.No water scrubbing  syatem.Stack height is below roof level.
4. HWM rules are not complied properly as date was not mentioned on the container and no daily records were mmaintained.
5. One borewell connection exists.
	Issue SCN u/s 31(A) of the Air Act and u/s 5 of the EPA.
	SCN issued on 01.11.2010. Decision taken on file regarding issuance of SCN ratified. . 

	75
	29331
	23-03-2009
	IKON INDUSTRIES
	C-26
	LAWRENCE ROAD INDUSTRIAL AREA
	Mfg of package water
	Plot Area:2106 sq yards.
Year of establishment-March, 2009
Trade effluent-NIL
DG set-125KVA
	
07.05.2010.
Issue consent to establish. Subsequently, inspection be conducted.
	Inpection done on 12.07.2010.
Observations:
1.Unit found closed.
2. No industrial activity observed.
3. No responsible person was available.
	Issue SCN for revocation of consent to establish. 
	Ask the unit not to operate without seeking consent to operate without DPCC. 

	76
	29524
	15-04-2009
	GARG ENTERPRISES
	C-55
	WAZIRPUR INDUSTRIAL AREA
	MFg of utensils with buffing
	BUA:210 sq.m
EC:NA
Water consumption:0.05Kl/day.
Waste Water generation : 
(a) Domestic effluent:NIL
(b) Trade effluent: Nil
Date of Commissioning: April,2009
	07.05.2010
Recommended for grant of consent to establish. Subsequently, inspection be conducted.
	Inspection done on 03.08.2010.
1.Unit found in operating engaged in mfg. of S.S.utensils with buffing and mfg. of PVC lid using injection moulding m/c(fresh granules).
2.ECS found under installation .Out of 8 only four bufing m/c found connected with ECS.
3.D.G.set >0.5 Kva w/o acoustic and inadequate stack height lying defunct and not in use.
	Issue SCN u/s 31(A) of the Air Act.
	Issue SCN u/s 31(A) of the Air Act.

	77
	29110
	25-02-2009
	M.K. UDYOG
	A-14
	GTK ROAD INDUSTRIAL AREA
	Heat treatment job work
	BUA:100 sq.m
EC:NA
Water consumption:0.33Kl/day.
Waste Water generation : 
(a) Domestic effluent:NIL
(b) Trade effluent: 0.3Kl/day
Date of Commissioning:25th Feb 2009
	07.05.2010
Recommended for grant of consent to establish. Subsequently, inspection be conducted.
	Inspection done on 12.07.2010.
1.Its unit found operational and engaged in the activityof heat treatment job work.
2.No ETP and ECS installed.
	Issue closure directions u/s 31(A) of the Air Act and u/s 33(A)  of the Water Act. 
	Issue SCN for closure u/s 31(A) of the Air Act and u/s 33(A)  of the Water Act. 

	78
	24899
	02-08-08
	SUPER POLYMERS
	M-9, PHASE-I
	BADLI INDUSTRIAL ESTATE
	Mfg of LD plastic sheets & LD plastic pipes
	BUA:186 sq.m
EC:NA
Water consumption: 0.3 Kl/day.
Waste Water generation : 
(a) Domestic effluent: 50 l/day
(b) Trade effluent: NIL
Date of Commissioning:2008, March
	13.11.2009
Recommended for grant of Consent to Establish. Subsequently, inspection be conducted to check the present status.
	Inspection done on 13.07.2010
1.Its unit found closed. Another unit namely , M/S Jain metal , found engaged in activity of aluminium casting with 2 furnaces. Also , unit has not applied for consent (Establish / Operate).
2. ECS not provided.
 Re-inspection done on 31.08.2010
1.The unit in question that is Super Polymer does not exist and no information received about its closure &shifting.
2.Earlier found m/s Jain metal which was aluminium casting also found closed & shifted.
3.Another unit namely m/s Shri Ram Enterprises (Prof.Rishi kr. Tejwani) is being under establishment.Plant m/cs for the activity of aluminium casting , annealing & circle cutting found under installation . ECS component blower, hoods also lying in the premises.
4. Not applied for CTE.
	Issue SCN for revocation of consent to establish to M/s Super Polymers. 
Issue u/s 21/22 of the Air Act and u/s 25/26 of the Water Act to M/s Shri Ram Enterprises. 
	Issue SCN for revocation of consent to establish to M/s Super Polymers. 
Issue u/s 21/22 of the Air Act and u/s 25/26 of the Water Act to M/s Shri Ram Enterprises. 
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	33214
	18-03-2010
	IDEAL UDYOG
	102, PHASE-II
	BADLI INDUSTRIAL ESTATE
	mfg of copper and brass sheets from ingots including pickling and annealing
	Plot area:408   sq.mt.
Trade Effluent: 170 ltd
DG:  nil
Inspection yet to be conducted.
CTR valid up to 21.07.2003
CTR applied on 01.06.2007
CTR applied on 26.06.2007
	26.05.2010-Reverification of earlier deficiencies through inspection be done.
	Inspection done on 31.08.2010
1.Unit found operating engaged in copper and brass sheets mfg.annealing, boiling& pickling.
2.Pickling activity not carried out during inspection.
3.1 tower ETP found in operative condition dry & wet sludge seen
4. Unit is having 2 annealing furnance , 1 electric annealing and another is PNG fired.
5. Channelisation followed by stack provided.
	Status of case may be obtained from Legal Cell.
	File be put up administratively. 


	S.No.
	firm_name
	firm_address
	Proposed  Activity/ Product
	Earlier CMC Decision
	ATR/ Remarks
	Findings of Inspection
	Replies
	Decision recommended by CMC(Orange) on 09.11.2010

	1
	Saluja Foundary 
Works
	A-5/2, Phase-II, 
Mayapuri Industrial Area
	C.I Casting
	 
	Earlier CTO issued valid upto 20.06.2005 vide consent no. 7373for the activity of job work of C.I casting (cupola furnace) of melting rate less than 3 MT/hr.
CTO_R issued valid upto 20.06.2008 vide consent order no. 14298for the activity of job work of C.I casting (cupola furnace) of melting.
Applied for CTO_R on 27.05.2008 vide application no. 2585 in the activity of C.I casting.
Applied for renewal of authorization under HWM Rules on 11.07.2008 vide ID no. 4786
	Unit inspected w.r.t. action plan for CWG, on  29.09.2010. brief of inspection is as below:
1.  Unit found operational and engaged in the activity of CI casting 
2. One cupola furnace found installed using coal as a fuel and having stack height 12.65 meter
3. ECS i.e. wet scrubber installed above the furnace and works properly.
4. Activity of unit is covered under "Nagative List" as per MPD 2021
	 
	Consent refused and case be referred to COI for necessary action in view of the activity listed  in negative list as per MPD-2021. 

	2
	SAGAR RATNA HOTELS PVT. LTD. (SAGAR RATNA)
	C-1, NEW KRISHNA PARK, VIKAS PURI
	Restaurant
	Decision on 23.03.2010
Letter be issued to GGS. University regarding authenticity of the adequancy report in view of date of issuance of the adequancy report mentioned as 31.11.2009.

Decision on 27.08.2010
Issue consent to operate. Inform to DJB about new order with regard to extraction of ground water.
	Applied for CTE on 09.07.2009 vide application no. 30636.
Earlier CTO issued valid upto 21.02.2013.
Plot area: 400 sqm.
D.G. Set: 62.5 KVA. NMR report submitted on 20.11.2009.
Trade effluent: 2000 LPD. 
Domestic effluent: 1000 LPD.
GW: NIL
	 
	 
	Issue consent to establish along with the consent to operate decided earlier. 

	3
	M/s J. K. 
Forging
	B-83, Phase-I,
Mayapuri Industrial Area,
Delhi
	Forging
	 
	Applied for CTO on 23.07.2002 vide ID No. 5858.
Applied for CTO dated 26.02.2007 for the activity of  open forging having one coal fired boiler and one oil fired boiler.

A letter issued to the unit on 15.03.2010 to convert coal fired boiler into oil fired boiler , unit submitted its reply on 25.03.2010 and assuring to convert the coal fired boiler into gas fired boiler within 3-4 month, the time which has already been expired.

Unit inspected on 09.09.2010 and as decided in CMC on 30.09.2010,  SCN  for closure u/s 31 (A) of the Air Act in view of the fact that Carbon Black Feed Stock (CBFS) is being used in furnace which is not an approved fuel, issued on 05.10.2010.
	 
	Unit submiited 
its reply on 11.10.2010 & 26.10.2010 along with an affidavit and assured to use LDO as fuel instead of CBFS.
	Ask the unit to apply for consent afresh as the periof of three years already lapsed for which the fee was deposited.

	4
	ESS CEE CEE & ASSOCIATES (INDIA) PVT. LTD.
	PLOT NO 2, SHIVAJI PLACE, DISTRICT CENTRE, RAJA GARDEN
	Multiplex Complex
	Decision 25.01.2010
Link the file with Consent to Establish application listed in non industrial area cases in old chronology.
Decision on 21.01.2010
Inspection be conducted to know the present status.
Decision on 30.01.2009
ALO with the help of our advocate, to get the court order and submit the file administratively with the court order. ALO be advised to submit, whatever transpires in the court, only in writing.
Decision on 19.08.2010
Issue SCN based on refusal of consent and SCN for closure based on the findings of the inspection.
	Applied for CTE on 12.012.2007 vide application no. 24472.
Applied for CTO on 10.12.2009 vide application no. 32147
Plot area: 5294.97 sqm.
D. G. Set of 3X500 KVA & 1X250 KVA are installed. NMR report submitted on 08.08.2008.
Trade effluent: nil. Adequacy report submitted on 11.08.2008
Domestic effluent: 4000 LPD
	Inspection conducted on 28.07.2010. during the inspection following were observed:
1.) The maultiplex is existing at second floor and shops are at ground floor and first floor. 31 nos. of shops are not operational.
2.) STP is found installed but in non operational staled sewage was seen in Settling tank.
3.)The filter press is not operating, neither wet sludge nor dry sludge seen at site.
4.) Water flow meter has not been provided.
5.) it was reported that one nos. of rain water harvesting pit provided buit the same could not be seen as the vehicle was found parked.

 A monitoring report of STP effluent was done by DPCC laboratory dated 19.01.2009. The results of outlet of STP w.r.t.parameters Suspended Solid & BOD is not within the limits of 30 mg/l & 20 mg/l respectively.
	 
	File be put up administratively. 

	5
	M/s Golden Iron and Steel Works
	(7/19), 
Kirti Nagar Industrial Area,
Delhi
	Forging
	 
	CTE issued on 07.09.2010 vide consent no 25447. 
Applied for CTO on 18.07.2002 vide ID no. 0962.
Applied for CTO  on 09.04.2007 vide ID no. 21010, application made refused on 08.06.2007 vide refusal no. 1616.
Applied for CTO on 17.12.2009 vide application no. 32201.

Inspection conducted on 13.09.2010.As decided in CMC on 30.09.2010, SCN for closure was isssued on 05.10.2010 for using CBSF as a fuel.
	 
	Unit submitted that 
as per DPCC notification dated 27.08.1996, the approved fuel in the NCT of Delhi  using of fuel as low Sulphur is permissiable.Unit claimed  that the CBFS is approved fuel as the Sulphur content is 0.3 % maximum. 
	A letter be written to  the Oil Companies to clarify the minimum and maximum percentage of sulphur in CBFS and the whether the maximum percentage can be restricted upto the level prescribed in the list of approved fuel for Delhi. 

	6
	PRINCE'S GLASS
	64, WHS, FURNITURE BLOCK,
KIRTI NAGAR INDUSTRIAL AREA
	Glass edge cutting and grinding
	Decision on 12.02.2010
Issue direction for closure u/s 31 (A) of the Air Act
Decision on 13.08.2010
Consent refused. Seek compliance report from concerned agencies

Compliance for disconnection of Electricity is received from NDPL on 18.10.2010.
	Applied for CTE on 20.01.2010 and the same was refused on 07.10.2010
Applied for CTE on 13.10.2010 vide application no. 35385
Applied for CTO on 13.10.2010 vide application no. 35386
	 
	Unit submitted a representation along with photographs of Air Pollution Control Device with adequacy and test report. Unit has  applied afresh for Consent to Establish and Consent to Operate and requested to revoke the closure directions..
	Ask the unit to submit Bank Guarantee of Rs. 1 Lakh under Air Act valid for one year. If unit submits the Bank Guarantee, closure directions be revoked. 

	7
	Piccadily Hotel, Janak Palace, Janak puri
	Janak Puri
	Construction 
of Five Star Hotel
	Decision on 05.08.2010
Issue SCN for refusal of consent and SCN u/s 31(A) of the Air Act and u/s 33(A) of the Water Act taking cognizence of the fresh complaint also.
	CTE obtained on 25.07.2008 valid upto 24.07.2009.
Applied for CTO on 04.05.2009 vide application no. 29750
BUA :  34,067.31 Sqm
EC :  obtained on 21.05.07
Water Consumption : 145 KLD
Waste Water generation : 
(a) Domestic effluent: 100 KLD
(b) Trade effluent: 10 KLD, total 110 KLD.
Total Project Cost : Rs. 88 crores
Date of Commissioning: December, 2008
SCN for refusal of consent and SCN u/s 31 (A) & 33 (A) were issued on 28.09.2010.
	 
	Unit submitted its reply on 20.10.2010. Brief 
of the reply is as follows:
1.)Temporary D.G. Sets & Movable Refrigeration Vans have been removed.
2.) RWH pits are being cleaned properly and regulary.
3.) Filter press is working & was not made operational on the day of inspection due to low sludge in the system as there was low occupancy in the Hotel .
4.) SWHS has already been installed & will be functional in 10 days as testing & commissioning is in progress.
5.) Segregation of garbage and waste management with eco-friendly technology is being done properly and we are out sourcing to a private vendor, copy of MOU is submitted. Further, it does not come under preview of air and water act.
6.) 3 nos of Thermax-Aquamatic Boilers are installed. Test report of stack monitoring will be submitted as they deposited requisite fee to GGSIU and will submit to DPCC very soon.
7.) STP was purchased from ION EXCHANGE is of capacity 200 KLD. The requisite rectification in the report of GGSIU  will be submitted in 10 days.
8.) Stack and Noise Mionitoring reports for DG Sets will be submitted as already requested GGSIU on 15.10.2010.
9.) Waste water treatment system has been put up in place in accordance with the Environment Clearnace conditions in which re-use in toilet flushing was not mentioned and air cooled system has been installed in accordance with EC conditions. Consent to Establish was granted at very advance stage of commissioning of the project, therefore, re-use in toilet flushing could not be made possible. 
However, recycling of water is met with Horticulture and use in water bodies.
10.) As far as complaint dated 28.07.2010 from the residents of neighboring are is concerned-the 
complaint had been resolved and we wish to inform you that tha Hotel has got the imported 
HALTON-Hoods, Air Scrubbers and Washers of International standared installed in our kitchens-
hence NO fowl smell, polluted air, or food stuff smell is going out to the neighboring areas. Further, 
the direction of the flow from exhaust is being modified and tilted towards upwards.
	Inspection be conducted.

	8
	SPARCO 
BATTERIES PVT. LTD
	A-35/1, 
PHASE-I, MAYAPURI 
INDUSTRIAL AREA
	Mfg. of lead 
acid batteries
	
	Earlier CTO issued valid upto 25.07.2005.
Applied for CTO_R on 25.07.2005 vide application no. 15570 and on 25.09.2008 vide application no. 27564.
Applied for fresh authorization under HWM Rules on 27.10.2010 vide ID no.0470
Plot area: 794.29 sqm.
D.G. Set: 82.5 KVA & 140 KVA, NMR submitted 04.08.08.
Adequacy report of air polloutin control system submitted dated 11.08.08

Unit inspected on 24.09.2010 w.r.t. CWG. on the basis of deficiencies observed during the inspection, Closure Direction u/s 31 (A) of the Air Act issued to the unit on 11.10.2010.
	 
	Unit submitted its reply on 28.10.2010 and 01.11.2010 along with photographs of ECS and stated that
1.) They have three lead melting machines with proper hood suction and channalization. they have increased the suction by changing the blower in such a way that fugitive emmission shall be pass through it only.
2.) They have made ECS (Wet scrubber) in functional condition.
Unit also applied for CTE  on 27.10.2010 and fresh Authorization under HWM Rules on 27.10.2010.
Unit requested to revoke the Closure Directions.
	Ask the unit to submit Bank Guarantee of Rs. 1 Lakh under Air Act valid for one year. If unit submits the Bank Guarantee, closure directions be revoked. 

	9
	MAHESH 
METAL WORKS
	B-28, 
PHASE-II, MAYAPURI 
INDUSTRIAL AREA
	C.I. casting 
and machining
	 
	Earlier CTO issued valid upto 18.06.2005
Applied for CTO_R on 13.06.2005 vide application no. 14454.
Applied for CTO_R on 09.09.2008 vide application no. 27250.
Applied for CTE on 02.11.2010 vide application no. 35556 in the activity of C.I Casting through pit furnace and machinhig with lathe

Unit inspected on 28.09.2010 w.r.t. CWG. On the basis of deficiencies observed during the inspection, Closure Direction u/s 31 (A) of the Air Act issued to the unit on 11.10.2010.
	 
	Unit submitted its reply on 26.10.2010 along with an affidavit, stating that
1.)They have closed their cupola furnace and dismental it as per directions given by DPCC.
2.) They have install pit furnance.
Unit requested to revoke the Closure directions.
	Ask the unit to remove the cupola furnace from the premises and confirm on an affidavit. 

	10
	GANESH 
FOUNDARY
	B-141. 
PHASE-1, MAYAPURI 
INDUSTRIAL AREA
	C.I  
casting
	 
	Earlier CTO issued valid upto 01.07.2005
CTO_R issued valid upto 01.07.2008.
Applied for CTE on 29.10.2010 vide application no. 35521 in the activity of CI casting through pit furnace


Unit inspected on 28.09.2010 w.r.t. CWG. On the basis of deficiencies observed during the inspection, Closure Direction u/s 31 (A) of the Air Act issued to the unit on 11.10.2010.
	 
	Unit submitted its reply on 27.10.2010 along with an affidavit, stating that
1.) They have closed their cupola furnace and dismantle that as per direction given by DPCC.
2.) They are going to install pit furnace as per MPD-2021 with in 30 days.
3.) Stating that if DPCC will give permission to any cupola furnace to run inside Delhi than they sahll be applied for same.
Unit requested to revoke the closure directions.
	Ask the unit to remove the cupola furnace from the premises & install the pit furnace and confirm on an affidavit. 

	11
	MCA 
INDUSTRIES
	18, NAJAFGARH
ROAD INDUSTRIAL AREA
	Trading and 
Mfg. of fine minerals
	 
	Earlier CTO issued valid upto 02.07.05
CTO_R issued valid upto 10.07.2008.
Unit inspected on 22.09.2010 w.r.t. CWG. On the basis of deficiencies observed during the inspection, Closure Direction u/s 31 (A) of the Air Act issued to the unit on 11.10.2010
	 
	Unit submitted its point wise reply on 19.10.2010 and stated that
1.) The dust collector has been modified and operational.
2.) the D.G. Set of 4 KVA installed but it is used for domestic light only.
3.) The bank draft of Rs. 15000/- has been submitted in DTU for adequacy report and the same will be submitted.

Unit requested for revoke the closure direction.
	Ask the unit to submit Bank Guarantee of Rs. 1 Lakh under Air Act valid for one year. If unit submits the Bank Guarantee, closure directions be revoked. 

	12
	MYSTIC
	C-147,
(A-147),
PHASE-II, MAYAPURI 
INDUSTRIAL AREA
	Washing of 
garments
	 
	CTE issued valid upto 19.12.2007
CTO issued valid upto 11.03.2011.

Unit inspected on 28.09.2010 w.r.t. CWG. On the basis of deficiencies observed during the inspection, Closure Direction u/s 31 (A) of the Air Act issued to the unit on 11.10.2010
	 
	Unit submitted its reply on 29.10.2010 and stating 
1.)  they have removed idle coal fired boiler from the site.
2.) ETP is in working condition since it is batch treatment it operates only when efflent is available in collection tank. Copy of adequacy report is enclosed.
	Ask the unit to submit Bank Guarantee of Rs. 1 Lakh under Air Act valid for one year. If unit submits the Bank Guarantee, closure directions be revoked. 

	13
	Wisdom Poly 
Products Pvt. Ltd.
	J-4, Udyog Nagar
Industrial Area
	All types of footwears including PVC and Leather Footwears
(Leather Footwear is additional product)
	
	Applied for CTO under orange category on 03.11.2010 vide application no. 35563 in the activity of mfg. of All types of footwears including PVC and Leather Footwears. (Leather Footwear is additional product).
Applied for CTE under orange category on 27.10.2010 vide application no. 35498 in the activity mfg. of All types of footwears including PVC and Leather Footwears. (Leather Footwear is additional product).
Earlier CTE issued under Green category valid upto 17.10.2011 in the activity of mfg. of leather footwear without moulding/heating.
CTO & CTO_R issued under Orange category valid upto 21.04.2012 in the activity of mfg. of PVC footwear with rexin upper.
CTE issued under Orange category valid upto 01.07.2010 in the activity of mfg. of PVC footwear with rexin upper.
	 
	 
	Revoke consent to operate granted earlier. Issue consent to establish and consent to operate for Mfg. of PVC and leather footwear.

	14
	Punjab Steel 
Works,
	B-38, 
Phase-I, MAYAPURI 
INDUSTRIAL AREA
	Forging of 
Components
	
	Applied for CTO on 20.02.2007 vide application no. 20680.

A letter issued to the unit on 15.03.2010 to convert coal fired boiler into oil fired boiler , unit submitted its reply on 25.03.2010 and assuring to convert the coal fired boiler into gas fired boiler within 3-4 month, the time which has already been expired.

Unit inspected on 09.09.2010 and as decided in CMC on 30.09.2010,  SCN  for closure u/s 31 (A) of the Air Act in view of the fact that one coal fired boiler was found installed in operational and  Carbon Black Feed Stock (CBFS) is being used in furnace which is not an approved fuel, issued on 04.10.2010.
	 
	Unit submitted its reply along with an affidavit and agreement with IGL stating that
1.) They shall use gas as a fuel for running boilers and LDO as a fuel for running furnaces.
2.) they have stopped using coal as a fuel and undertake not to use it in future also.
3.) Gas connection is under installation and neccessary agreement has been signed and security amount deposited with M/s Indraprastha Gas Limited. 

Unit also requested to revoke the closure directions
	Ask the unit to confirm the installation of gas / LDO fired boiler in its premises and to confirm that coal fired boiler has been removed on an affidavit. 

	15
	S.S. Sahni 
Technologies
	A-20/2, Phase-I, MAYAPURI 
INDUSTRIAL AREA
	Mfg. of dry batteries 
& batteries plates.
	 
	Earlier CTE issued valid upto 03.01.2006
CTO  issued valid upto 30.05.2009.
Unit applied for fresh authorization under HWM Rules on 01.11.2010

Unit inspected on 24.09.2010 w.r.t. CWG. On the basis of deficiencies observed during the inspection, Closure Direction u/s 31 (A) of the Air Act issued to the unit on 11.10.2010
	 
	Unit submitted its reply on 29.10.2010 & 01.10.2010 stating that 

1.) Lead melting furnace has been arranged with hood-suction and channalization system. The fugitive emission also have been channalised with emission control system.
2.) DG set of 63 KVA has been removed, as it was rest there in idle position.
3.) unit have submitted Rs. 16,000  for the adequacy and air montoring report(Copy enclosed)
Unit also requested to revoke the closure directions.

Unit appled for CTE vide appl. no. 35524 on  29.10.2010 and authorization under HWM rules on  01.11.2010
	Ask the unit to submit Bank Guarantee of Rs. 1 Lakh under Air Act valid for one year. If unit submits the Bank Guarantee, closure directions be revoked. 


	Sl. No 
	ID No
	appl_dt
	firm_name
	firm_address
	area_name
	Activity
	Earlier CMC decision
	ATR / Remarks
	Decision recommended by CMC(Orange) on 09.11.2010

	16
	17454 / 29688
	05.01.06 / 27.04.09
	JUMBO 
INTERNATIONAL
	ISHWAR NAGAR, JUMBO 
HOUSE,  OKHLA, PHASE-III
	OKHLA
	Food Processing
	22.09.2010
Recommended for issuance of directions u/s 31(A) of the Air Act not to operate its coal fired boiler till 15.10.2010 in view of Commonwealth Games and submit an affidavit in this regard in accordance with its representation within  03 days and to convert it into the oil fired boiler by 15.10.2010 in view of DPCC Board decision, failing which, directions for disconnection of electricity / water supply will be issued. The unit may be directed to apply for Consent to Establish also essentially supported by the proof of conformity from DDA. Ask the unit to remove the non functional boiler lying in the premises. The conformity of the unit may be confirmed from DDA also. 
	 Direction u/s 31 (A) of Air Act  was issued to the unit on 29.09.10 in accordance not to operate its coal fired boiler till 15.10.10 in view of CWG'10 and to convert it into oil fired boiler by 15.10.10, failing which direction for disconnection of electricity, water supply will be issued. Letter issued to unit on 29.09.10 to apply for CTE also essentialy supported by the proof of conformity from DDA  and also to remove the non-functional boiler and letter issued to DDA for conformity of the unit.

Unit has submitted an affidavit on 01.10.10 regarding not to operate the Coal Fired Boiler till 15.10.10 in view of Commonwealth Games and they have already removed the non-funtional boiler. they have also submitted a letter in this regard & mentioned that they had been in touch with I.P.Limited for making available to the PNG & requested to permit to operate coal fired boiler till 31.03.11 by which time PNG should be available to the unit.   

Now, the unit has again submitted a letter on 13.10.10 regarding conversion of coal fired boiler into oil fired boiler and requested that to kindly grant them permission till then to use coal fired boiler and also requested that to issue a letter for granting 
us time in converting coal fired boiler into PNG on or before 15.10.10 so that they can restart 
production on 18.10.10 & also requested to give opportunity to appear before us personally as to 
provide full facts about the arrangement made by them with IGL for supply of PNG to their unit.

No reply has been recieved from DDA w.r.t the letter dated 29.09.10 
regarding conformity of land of the unit wrt MPD -2021.

Unit has again submitted a letter on 01.11.10 alongwith the copy of reply submitted 
by M/s Midland Fruits and Vegetable Product (India) Pvt. Ltd. in response to 
DPCC letter dt.29.09.10 & stating that they have been leased out a portion in the 
factory premises by M/s Midland Fruits and Vegetable Product (India) Pvt. Ltd. 
where they are operating since 1986. Unit has not provided any copy of previous consent order with 
the name of Jumbo International.

As per record available in DPCC, no consent was issued to the unit by DPCC so far.
However, Unit has not applied for CTE in response to letter dated 29.09.10 with 
essential supporting proof of conformity from DDA so far. 
	Directions for disconnection of electricity / water supply be issued.
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	29689
	27.04.09
	Midland Fruits and Vegetable 
Product (India) Private Limited 
	ISHWAR NAGAR, JUMBO 
HOUSE,  OKHLA, PHASE-III
	OKHLA
	Food Processing
	22.09.2010
Recommended for issuance of directions u/s 31(A) of the Air Act not to operate its coal fired boiler till 15.10.2010 in view of Commonwealth Games and submit an affidavit in this regard in accordance with its representation within  03 days and to convert it into the oil fired boiler by 15.10.2010 in view of DPCC Board decision, failing which, directions for disconnection of electricity / water supply will be issued. The unit may be directed to apply for Consent to Establish also essentially supported by the proof of conformity from DDA. Ask the unit to remove the non functional boiler lying in the premises. The conformity of the unit may be confirmed from DDA also. 
	Direction u/s 31 (A) of Air Act  was issued to the unit on 29.09.10 in accordance not to operate its coal fired boiler till 15.10.10 in view of CWG'10 and to convert it into oil fired boiler by 15.10.10, failing which direction for disconnection of electricity, water supply will be issued. Letter issued to unit on 29.09.10 to apply for CTE also essentialy supported by the proof of conformity from DDA  and also to remove the non-functional boiler and letter issued to DDA for conformity of the unit.

Unit has submitted an affidavit on 01.10.10 regarding not to operate the Coal Fired Boiler till 15.10.10 in view of Commonwealth Games and they have already removed the non-funtional boiler. they have also submitted a letter in this regard & mentioned that they had been in touch with I.P.Limited for making available to the PNG & requested to permitted to operate coal fired boiler till 31.03.11 by which time PNG should be available to the unit.   

Now, the unit has again submitted a letter on 13.10.10 regarding conversion of coal fired boiler into oil fired boiler and requested that to kindly grant them permission till then to use coal fired boiler and also requested that to issue a letter for granting us time in
 converting coal fired boiler into PNG on or before 15.10.10 so that they can restart production on 18.10.10 & 
also requested to give opportunity to appear before us personally as to provide full facts about the arrangement
 made by them with IGL for supply of PNG to their unit.

No reply has been from DDA w.r.t the letter dated 29.09.10 regarding conformity of land of the unit wrt MPD -2021.

Unit has again submitted a letter on 28.10.10 in response to DPCC letter dt.29.09.10 & stating that they are operating at the
 present site since 1962 & in this regard they are submitting the copies of earlier Consent Orders under Water Act only, issued 
by Central Pollution Control Board on 30.03.82, 03.05.85, 24.07.86 and 30.12.88 (copies enclosed) & they have requested to 
waive the condition for applying consent to establish. 

As per record available in DPCC, no consent was issued to the unit by DPCC so far.
Unit has not applied for CTE in response to letter dated 29.09.10 with essential supporting proof of conformity from DDA so far. 
	Directions for disconnection of electricity / water supply be issued.

	18
	33896
	18-05-2010
	SIGNET GARMENTS PVT. LTD.
	D-2/4, PHASE-II
	OKHLA INDUSTRIAL AREA
	Mfg. of readymade garments with washing.
	             12.02.10/ 15.02.10
Issue SCN for closure.
             30.07.10
Consent refused and issue closure directions.
	SCN for closure u/s 33 (A) of the Water Act & 31 (A) of the Air Act. were issued on 07.04.10.
Reply received on19.04.10

Case was put up administratively and accordingly letter was issued on 07.06.10 to submit BG of Rs. 50,000 each under Air Act and Water Act and also to submit stack monitoring report of boiler (which was observed during the inspection and same was not mentioned in CTO (R) application.
No reply received.

Case was taken up by CMC (O) on 30.07.10 & as decided, closure directions u/s 33 (A) of the Water Act & 31 (A) of the Air Act and refusal of consent were issued to the unit on 15.09.10.  
However, unit has submitted its reply on 24.09.10 along with the B.G of Rs. 50,000/- each under Water Act & Air Act.

The case was again put up administratively and accordingly letter was issued to unit on 21.10.10 to submit additional BG of Rs. 50,000 each under Air Act and Water Act valid for one year due to issuance of closure directions u/s 33 (A) of the Water Act & 31 (A) of the Air Act.

Unit has submitted its reply on 01.11.10 along with the additional B.G of Rs. 50,000/- each under Water Act & Air Act. 
	Decision taken on file ratified. Revoke closure directions.
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	35382
	12.10.10
	INDIA HABITAT CENTER
	LODHI ROAD, NEW DELHI-03
	NC-S
	Integrated Complex with Office-cum-Facility Block.
	 
	BUA :  43655 sq mt
Water Consumption: 72.43 KLd
Wastewater Generation:
(a) Domestic effluent: 2 Kld on application, 10 KLD on affidavit
(b) Trade effluent: 50 Kld
Total Project Cost : Rs. 120 Crores
Date of Commissioning: December, 1997
Ground Water: 60KLD
DG Set: 2X 1000 & 2X 500 KVA

A complaint was recieved on 03.06.10 in PGRC.
An inspection was carried out by DPCC Officials.
Notice u/s 31(A) of Air Act and 33(A) of Water Act was issued to the unit on 07.07.10.
A reply recieved form the unit on 27.07.10.
	Issue consent to establish. 


