Minutes of the 153rd meeting of the Committee Constituted for Deciding the Consent under Orange Category, held on 11.10.2010 in the Conference Room of Chairman, DPCC.

   The following persons attended the meeting:

Sh. Dharmendra, Chairman, DPCC

Dr. A.K.Ambasht, Member Secretary, DPCC

Prof. S. K. Gupta, IIT-Delhi
Sh. B. Kumar, SEE, DPCC. 
Sh. M. Dwarakanth, SSO, Dept. of Env., GNCTD 

EEs of CMC –  I, II, III & IV.


AEEs of CMC – I, II, III & IV.


Following are the minutes of the meeting:- 

Agenda Item No. 1- Personal hearing of Delhi & District Cricket Association, Ferozesha Kotla Cricket Grounds.
The representative of the unit namely Sh. Pankaj Bhardwaj, Chief Administrator came for personal hearing today. Requirement of environmental clearance and consent to establish was explained to the unit He said that he will consult his architect and take necessary action for environmental clearance and consent to establish provided area is more than 20,000 sqm, if it is less than 20,000 sqm then he will give the details to DPCC for exemption.
Agenda Item No. 2- The cases which were directed to put up in next CMC.

Decisions recommended with respect to this agenda are tabulated and annexed as Annexure – 1. 

Agenda Item No. 3- Consent to Operate/ Renewal cases under Orange category  w.e.f. 11.08.2009 (in reverse chronology) excluding the cases of non industrial areas / redevelopment areas to be considered by Scrutinizing Committee on 13.09.2010 considered by Scrutinizing Committee on 13.09.2010 / 14.09.2010.
Decisions recommended with respect to this agenda are tabulated and annexed as Annexure – 2. 

Agenda Item No. 4- Inspection conducted in compliance of earlier CMC's decisions considered by Scrutinizing Committee on 13.09.2010 / 14.09.2010.

This agenda could not be taken up by the Committee, due to paucity of time, and it was decided to take up the same in the next meeting.

Table Agenda Item No 1 : M/s Kenneth Builders & Developers Pvt. Ltd., Maa Anandmayi Marg, Tehkhand, Delhi
Forest department is going for appeal, therefore, consent be refused.
Table Agenda Item No 2 : M/s Arun & Rajiv Pvt. Ltd., 10, DSIDC Scheme-2, Phase-II, Okhla Industrial Area, New Delhi-110020

Decision taken on file be reviewed w.r.t. issuance of closure directions. Ask the unit to submit Bank Guarantee of Rs. 1 Lakh each under Air Act and Water Act valid for one year. 

Table Agenda Item No 3 : M/s K.P. Flexipak Private Limited, B-92, Phase-I, Mayapuri Industrial Area, Delhi

Decision of CMC dated 13.08.2010 / 19.08.2010 reviewed w.r.t. issuance of SCN for refusal of consent. Issue SCN for refusal of authorization under HWM Rules and SCN u/s 5 of the EPA. 

Table Agenda Item No 4 : M/s Eminent Enterprises (Partner P.S. Bhatnagar & Ashok Jain), M-2, Phase-I, Badli Industrial Estate, Delhi. 

Issue renewal of consent. 

Table Agenda Item No 5: M/s P.L. Printers, 7/16, Kirti Nagar industrial area, New Delhi-110015

Issue consent to establish. 

Meeting ended with thanks to the chair.
	Sl. No 
	ID No
	appl_dt
	firm_name
	firm_address
	area_name
	Category
	Proposed  Activity/ Product
	Earlier CMC Decisions  
	Quantity of Ground water extraction
	ATR / Remarks
	Decision recommended by CMC(Orange) on 11.10.2010

	1
	33553
	16-04-2010
	KLJ TOWER NORTH
	B-5, DISTRICT CENTRE, NETAJI SUBHASH PLACE
	NC-NW
	OPERATE
	commercial complex "klj tower north"
	                    06.05.2009
Issue final reminder for technical adequacy report. Call on 12.06.2009
                     12.06.2009
Ask the unit to file DJB permission for ground water extraction. Call on 05.08.2009
Letter issued on 21.05.09.
Unit has submitted technical adequacy report on 08.06.09.
                    16.04.2010
Ask the unit to submit following :-
(i) An affidavit indicating date of start of construction and date of completion. (ii) Copy of completion certificate (iii) Copy of approved architechural drawing (iv) copy of sanctioned building plan.
    Recommendations of Scrutinizing Committee on 18.05.2010/19.05.2010/20.05.2010
     Put up in next CMC.           
                          26.07.2010
Put up in next CMC.
	Nil
	Year of Comencement: april 2010
Plot area: 899.64 sq mt
Trade Effluent: 3100 litrs
DG:2x 500 kva & 380 kva stack hight 4 mtrs of both DG sets.
As per CMC's decision dated 16.04.2010, letter issued on 18.05.2010
	Prosecution be filed. 

	2
	33889
	17-05-2010
	STAIN LAY INDIA PVT. LTD
	PLOT NO 73
	SSI INDUSTRIAL AREA
	RENEWAL
	S.S utensils w/o buffing
	13.11.2009- inspection be conducted w.r.t electrocleaning prcess
27.04.2010- Inspection done. Issue SCN for remove facilities of pickling activity
Recommendations of Scrutinizing Committee on 18.05.2010/19.05.2010/20.05.2010
      Recommended for grant of renewal of consent.                
 30.07.2010
Put up in next CMC with the facts about removal of the pickling activity.
	NIL
	CTO granted and valid up to 13.02.2006
CTR granted and valid up to 14.02.2009.
Plot Area-1100sqm
DG  set-180KVA stck ht 3m
Trade-NIL
	Ask the unit to submit Bank Guarantee of Rs. 50,000 each under Water Act and HWM Rules valid for one year. If unit submits the Bank Guarantee, renewal of consent be issued. Subsequently, inspection be also conducted within 03 months.


	Sl. No 
	ID No
	appl_dt
	firm_name
	firm_address
	area_name
	Proposed  Activity/ Product
	Project Details
	Earlier CMC Decisions  
	Environmental Damages (ED ) / Bank Guarantee (BG)
	ATR / Remarks
	Decision recommended by CMC(Orange) on 11.10.2010

	3
	26909
	08-08-2008
	PRITHVI SOUND PRODUCTS COMPANY (P) LTD (KLJ TOWER NORTH)
	PLOT NO B-5, DISTRICT CENTRE, WAZIRPUR
	NC-NW
	Commericial complex
	BUA :  2058.89sq.m
EC : 
Water Consumption :50 KLD
Waste Water generation : 
(a) Domestic effluent: 31KLD
(b) Trade effluent: NIL
Total Project Cost :47.05 crores 
Date of Commissioning:2010 
	                   23.12.2008
The unit came for personal hearing today. It claims that it has placed an order for STP which will be installed within 03-04 months. Let the unit file an affidavit to this effect. Call on 07.01.2009.
                   07.01.2009
Let the first interim report on STP installation be filed by 18.02.2009. Call on 18.02.2009
                  20.02.2009
Ask the unit to submit interim progress report for STP installation by 18.03.2009. Call on 25.03.2009
                    25.03.2009
Call on 05.05.2009
                    06.05.2009
Issue final reminder for technical adequacy report. Call on 12.06.2009
                     12.06.2009
Ask the unit to file DJB permission for ground water extraction. Call on 05.08.2009
                     16.04.2010.
Ask the unit to submit the follwing documents:
1. An affidavit indicating date of start of construction and date of completion.
2.Copy of completion certificate.
3.Copy of approved architectural drawing
4.Copy of sanctioned building plan.
                   
Recommendations of Scrutinizing Committee on 
25.06.2010 / 30.06.2010
 The project has started the construction before filing the CTE. 
CMC may take a view in view of High Court matter in similar 
other cases.                   
                          05.08.2010
Put up in next CMC.
	Environmental Damages:NA
Bank Guarantee :NA 
	CTO applied on 16.04.2010.
 NMR submitted on 07.04.2010
AR of STP dated 04.06.2009.
A letter issued to the unit on 18.05.2010 to submit the follwing documents:
1. An affidavit indicating date of start of construction and date of completion.
2.Copy of completion certificate.
3.Copy of approved architectural drawing
4.Copy of sanctioned building plan.

Reply received on 11.06.2010 
	Case be linked with Sl. No 3 as prosecution is to be filed against the project proponent.

	4
	27269
	10-09-2008
	BEST MEGA MALL
	CSC/OCF NO. 7, SECTOR-24, PHASE-III, ROHINI
	NC-NW
	Commercial complex
	BUA :  989.548sq.m
EC : NA
Water Consumption :6KLD
Waste Water generation : 
(a) Domestic effluent: 5KLD
(b) Trade effluent: NIL
Total Project Cost : 9 crores
Date of Commissioning: feb 2007
	                            17.09.2008
SIT to inspect and report. Call on 16.10.2008
                             15.10.2008
Call for personal hearing on 06.11.2008 at 7.30 PM and also to correct the deficiencies noted by SIT. 
                         06.11.2008
The unit came for personal hearing today. It claims that it was unaware of the provisions of Air and Water Acts and has applied for Consent to Establish. In view of the fact the mall is operational but the domestic effluent being only 5 KLD, the Committee deliberated and reduced the environmental damages to Rs. 5 Lakhs and Bank Guarantee to Rs. 10 Lakhs valid for three years. To be complied by 23.12.2008. If the unit complies with the same, issue Consent to Establish across the table. Call on 23.12.2008.
                            23.12.2008
Issue final reminder. Call on 28.01.2009
                            28.01.2009
ALO  with advocate to file copy of court order and put up administratively. Call on 30.01.2009
                              30.01.2009
ALO with the help of our advocate, to get the court order and submit the file administratively with the court order. ALO be advised to submit, whatever transpires in the court, only in writing. 
                             15.06.2009
Call on 12.08.2009
  Recommendations of Scrutinizing Committee on 
25.06.2010 / 30.06.2010
Matter is subjudice. Inspecton be conducted to know 
the present status of construction viz a viz pollution 
control systems.
                           05.08.2010
Put up in next CMC.
                             
	Environmental Damages:5lakhs
Bank Guarantee :10 lakhs 
Not submitted.
	DG set-15 KVA with acoustic
	File be put up administratively with latest court order.

	5
	27270
	10-09-2008
	BEST SKY TOWER
	PLOT NO. F5, NETAJI SUBHASH PLACE, PITAMPURA
	NC-NW
	Commercial complex.
	BUA :  9171.63sqm
EC : NA
Water Consumption :26KLD
Waste Water generation : 
(a) Domestic effluent:21KLD 
(b) Trade effluent:NIL 
Total Project Cost : 22 crores
Date of Commissioning:Jan 2009 
	                            17.09.2008
SIT to inspect and report. Call on 16.10.2008
                               15.10.2008
Call for personal hearing on 06.11.2008 at 7.15 PM and also to correct the deficiencies noted by SIT. 
                               06.11.2008
The unit came for personal hearing today. It claims that it was unaware of the provisions of Air and Water Acts and has applied for Consent to Establish. The Committee deliberated on the issue and decided to impose environmental damages of Rs. 6 Lakhs and Bank Guarantee of Rs. 12 Lakhs valid for three years to be complied by 23.12.2008. If the unit complies with the same, issue Consent to Establish across the table. Call on 23.12.2008.
                                23.12.2008
Issue final reminder. Call on 28.01.2009
                          28.01.2009
ALO  with advocate to get court order copy and put up administratively. Call on 30.01.2009
                                30.01.2009
ALO with the help of our advocate, to get the court order and submit the file administratively with the court order. ALO be advised to submit, whatever transpires in the court, only in writing. 
                               15.06.2009
Call on 12.08.2009
Recommendations of Scrutinizing Committee on 
25.06.2010 / 30.06.2010
Matter is subjudice. Inspecton be conducted to know 
the present status of construction viz a viz pollution 
control systems.
                           05.08.2010
Put up in next CMC.
                             
	Environmental Damages: Rs. 6 Lakh not submitted.
Bank Guarantee :Rs. 12 Lakh not submitted.
	DG sets 2x500 KVA and 1x250KVA and stack height 2m above roof of the acoustic enclosure.
	File be put up administratively with latest court order.

	6
	27668
	06-10-2008
	BEST CITY DEVELOPERS INDIA PRIVATE LIMITED
	BEST PLAZA, PLOT NO. 48, NETAJI SUBHASH PLACE, PITAMPURA
	NC-NW
	 
	BUA :  
EC : 
Water Consumption :
Waste Water generation : 
(a) Domestic effluent: 
(b) Trade effluent: 
Total Project Cost : 
Date of Commissioning: 
	 Recommendations of Scrutinizing Committee on
 25.06.2010 / 30.06.2010
File be put up administratively.
                           05.08.2010
Put up in next CMC.
                             
	Environmental Damages:
Bank Guarantee : 
	 
	File be put up administratively with latest court order.

	7
	27853
	17-10-2008
	MERA BABA REALITY ASSOCIATES PVT. LTD
	PLOT NO 1B5, TWIN DISTRICT CENTRE, ROHINI
	NC-NW
	Shopping mall
	BUA :  23351.133 sq.m
EC : 
Water Consumption :222KLD
Waste Water generation : 
(a) Domestic effluent: 37KLD
(b) Trade effluent: NIL
Total Project Cost : 190crores
Date of Commissioning:2009 
	                       15.05.2009
The unit came for personal hearing today. After detailed deliberation and submissions made by the unit, the unit is asked to file all its submissions in writing within a week and case will be considered on 22.05.09. By that time unit may also file adequacy report and DJB clearance for taking up final decision. Call on 22.05.2009.
                        22.05.2009
The unit appeared before the Committee. It has still to file the adequacy report. Call on 08.07.2009.
 Recommendations of Scrutinizing Committee on
 25.06.2010 / 30.06.2010
The project has started the construction before filing the CTE. CMC may take a view in view of High Court matter in similar other cases.
                           05.08.2010
Put up in next CMC.
                             
	Environmental Damages: -
Bank Guarantee : -  
	EC issued by SEIAA on 24.04.2009
Item wise compliance submitted on 28.11.2009
	Prosecution be filed. 

	8
	28101
	17-11-2008
	VISAGE PROPERTIES PVT. LTD (THE GOLD SOUK)
	PLOT NO-1, SHARDA NIKETAN, PITAMPURA
	NC-NW
	Commercial complex
	BUA :  5700sq nt
EC : NA
Water Consumption :8KLD
Waste Water generation : 
(a) Domestic effluent: 6KLD
(b) Trade effluent: NIL
Total Project Cost : 2599.78 lacs
Date of Commissioning: Feb, 2006
	                                    06.11.2008
The unit came for personal hearing today. It had refused to sign the SIT inspection report and has not given the project cost details even after two months. It has not applied for Consent to Establish so far and it is operational on 60 % occupancy. If unit does not file the Consent to Establish  application, project cost and effluent analysis report, by 17.11.2008, issue notice for closure immediately. Call on 17.11.2008.
                     17.11.2008
The unit has filed CTE which shows project cost of Rs. 26 crores and waste water generated is not treated. The unit may be asked to set up ETP urgently and recycle the treated waste water. Call on 23.12.2008
                       23.12.2008
Call for personal hearing on 21.01.2009 at 6.15 PM.
                         21.01.2009
The unit came for personal hearing today. It assures that it will install STP of the capacity which will be equivalent to the maximum waste water generation at any given point of time, within 03 months. Call on 04.03.2009 for interim report.
                          04.03.2009
Issue reminder for installation of STP. Call on 09.04.2009
                        09.04.2009
Issue final reminder to submit adequacy report from one of the empanelled consultants of DPCC. Call on 19.05.2009
                         15.06.2009
Ask the unit to submit DJB clearance for ground water extraction, compliance regarding installation of flow measuring device in ETP and reason as to why construction has been started without prior permission from DPCC. Call on 12.08.2009
Recommendations of Scrutinizing Committee on 
25.06.2010 / 30.06.2010
The project has started the construction before filing the CTE. 
CMC may take a view in view of High Court matter in 
similar other cases.
                           05.08.2010
Put up in next CMC.
  
	Environmental Damages:NA
Bank Guarantee :NA 
	DG set- 3X 250KVA and 1X 500KVA with stach height 3..5 and 5m rsp above roof of the building.
Letter issued on 06.07.2009.
Reply received on 27.07.2009.
AR dated 19.05.2009 of STP submitted.
	Prosecution be filed. 


	Sl. No 
	ID No
	appl_dt
	firm_name
	firm_address
	area_name
	Category
	Proposed  Activity/ Product
	Earlier CMC Decisions  
	Quantity of Ground water extraction
	ATR / Remarks
	Decision recommended by CMC(Orange) on 11.10.2010

	9
	33300
	25-03-2010
	ALLIED HOLDINGS PVT. LTD
	Z-43, PHASE-II
	OKHLA INDUSTRIAL AREA
	RENEWAL
	Mfg. of Steel Ingots
	26.05.10
Latest court order from the Legal Cell be obtained and put up administratively. 
       27.08.2010
Matter subjudice. Put up in next CMC.
	nil
	1. Trade Effluent: nil , but adequacy report dt. Feb                                   2010 for ECS. 
2. G.W: nil
3. D.G.Set: 140 kva, NMR dt. 15.02.10 submitted.
4. HWM not applied
5.Earlier CTR valid upto 26.04.07 vd id no. 10448 and CTR applied on 26.03.07 vd id. no. 20932.   
6. CTE not required.                                          
	Write to DDA to defend the case and getting the stay vacated. 


	Sl. No 
	ID No
	appl_dt
	firm_name
	firm_address
	area_name
	Category
	Details of the case
	Quantity of Ground water extraction
	Proposed  Activity/ Product
	Earlier CMC Decisions  
	ATR / Remarks
	Recommendations of Scrutinizing Committee on 13.09.2010 / 14.09.2010
	Decision recommended by CMC(Orange) on 11.10.2010

	1
	31077
	11-08-2009
	YADAV CABINET MOULDERS
	340/58, GALI NO. 1B
	FRIENDS COLONY INDUSTRIAL AREA
	OPERATE
	CTE :Yes 
Water Consumption :120 lits/dday
Waste Water generation : 
(a) Domestic effluent: 20 lits/day
(b) Trade effluent: nil
Date of Commissioning:Jan 2009 (existing).
ETP :  N/A
STP : N/A
Test Report (Water) within limit :  N/A
Test Report (Air) within limit :  N/A
NMR submitted : NA.
	No
	Mfg. of plastic products by injection moulding m/c.
	16.02.2009
Ask the unit to apply for CTE.
17.06.2009.
Issues SCN, call on 19.08.2009.
12.05.2010.
Issues CTE.
	CTE granted , valid up to 03.06.2011. 
	Recommended for grant of consent to operate.
	Ask the unit to confirm its reply on an affidavit. If it does so, issue consent to operate.

	2
	31076
	11-08-2009
	SEMTECH ELECTROMECH PVT. LTD.
	PLOT NO. 1/536, C-4, GALI NO. 4
	FRIENDS COLONY INDUSTRIAL AREA
	RENEWAL
	CTE : yes
Water Consumption :100 lits/day
Waste Water generation : 
(a) Domestic effluent: 50 lits/day
(b) Trade effluent: nil.
Date of Commissioning: Nov 2005 (existing).
ETP :  N/A
STP :  N/A
Test Report (Water) within limit :  NA .
Test Report (Air) within limit : NA.
NMR submitted : NA.
	No
	Aluminium Wire drawing and double paper covering of winding wire without annealing.
	 
	CTE granted , valid up to 10.02.2006.
CTO granted, valid upto 16.03.2009.
	Recommended for grant of renewal of consent.
	Issue renewal of consent.

	3
	31075
	11-08-2009
	N K GOEL
	1/536-D/16, GALI NO. 4A
	FRIENDS COLONY INDUSTRIAL AREA
	RENEWAL
	CTE : Yes
Water Consumption :200 lits/day
Waste Water generation : 
(a) Domestic effluent: 150 lits/day.
(b) Trade effluent: nil
Date of Commissioning: July 2005 (existing)
ETP:  N/A
STP :  N/A
Test Report (Water) within limit :  No 
Test Report (Air) within limit :  No 
NMR submitted :NA.
	No
	Mfg. of Al. kitchen ware & Utensils, Pressure Cooker , LPG  Gas stoves, Electrical appliances with Buffing  (W/o Electroplating)
	 
	CTE granted, valid upto 15.03.2006.
CTO granted, valid upto 13.03.2009.
	Ask the unit to submit the adequacy report for the ECS installed with buffing system from empanelled consultant of DPCC. 
	Ask the unit to submit the adequacy report for the ECS installed with buffing system from empanelled consultant of DPCC. 

	4
	31073
	11-08-2009
	RAKESH MAHAJAN
	1/536/J-3, GALI NO.. 4A
	FRIENDS COLONY INDUSTRIAL AREA
	RENEWAL
	CTE :Yes 
Water Consumption :200 lits/day
Waste Water generation : 
(a) Domestic effluent: 150 lits/day
(b) Trade effluent: nil
Date of Commissioning: july 2006.
ETP : N/A
STP :  N/A
Test Report (Water) within limit :  No .
Test Report (Air) within limit : No . 
NMR submitted :  NA.
	No
	Mfg. of Al. kitchen ware & Utensils, Pressure Cooker , LPG  Gas stoves, Electrical appliances with Buffing  (W/o Electroplating)
	 
	CTE granted, valid upto 15.03.2006.
CTO granted, valid upto 13.03.2009.
	Ask the unit to submit the adequacy report for the ECS installed with buffing system from empanelled consultant of DPCC. 
	Ask the unit to submit the adequacy report for the ECS installed with buffing system from empanelled consultant of DPCC. 

	5
	31059
	10-08-2009
	HAPPY MATES INDUSTRIES
	C-566, DSIDC COMPLEX
	NARELA INDUSTRIAL AREA
	OPERATE
	CTE : yes
Water Consumption :1KLD
Waste Water generation : 
(a) Domestic effluent:  1KLD
(b) Trade effluent: NIL
Date of Commissioning: 2006
ETP : NA.
STP : No. 
Test Report (Water) within limit : NA
Test Report (Air) within limit :  NA. 
NMR submitted : NA.
	NIL
	Mfg. of plastic goods (injection and blow moulded goods) and plastic granules by reprocess w/o washing.
	 
	CTE  granted and valid up to 20.09.2006
CTO applied on 11.08.2006 
	Ask the unit to apply for consent to establish for the changed activity of reprocessing of plastic and also to submit the stack monitoring report from approved laboratory with due installation of requisite channelization system for the process emissions, to substantiate the compliance of prescribed standards. 
	Ask the unit to apply for consent to establish for the changed activity of reprocessing of plastic and also to submit the stack monitoring report from approved laboratory with due installation of requisite channelization system for the process emissions, to substantiate the compliance of prescribed standards. 

	6
	31056
	10-08-2009
	GINNI  PLASTIC CORPORATION
	421/C, GALI NO. 6
	FRIENDS COLONY INDUSTRIAL AREA
	OPERATE
	CTE : Yes
Water Consumption :0.20 kilo lits/day
Waste Water generation : 
(a) Domestic effluent: 0.15 kilo lits/day
(b) Trade effluent: nil
Date of Commissioning: 2009 (existing)
ETP : N/A
STP : N/A
Test Report (Water) within limit :  N/A
Test Report (Air) within limit :  No . 
NMR submitted :  NA
	No
	PVC compound & electric  wire and cables.
	03.06.2009.
call on 22.07.2009.
16.06.2010.
ask the unit to provide channelisation system.
07.05.2010.
file be put up administratively.
	Applied for CTE on 19.01.2009. 
Inspection conducted on 02.07.2009
Unit has not provided hood and suction arrangement as per I/R dated 02.07.2009.
	Issue SCN for refusal of consent in view of no response received w.r.t. the letter dated 23.06.2010  issued by DPCC for necessary measures. 
	Issue SCN for refusal of consent in view of no response received w.r.t. the letter dated 23.06.2010  issued by DPCC for necessary measures. Confirm closure directions to M/s Sushil Pandit.

	7
	31053
	10-08-2009
	GANESHA INTERNATIONAL
	A-88
	WAZIRPUR INDUSTRIAL AREA
	OPERATE
	CTE : YES
Water Consumption : 100L/D
Waste Water generation : 
(a) Domestic effluent:  80L/D
(b) Trade effluent: NIL
Date of Commissioning: Dec. 2007
ETP :  NA.
STP :  No. 
Test Report (Water) within limit :  NA.
Test Report (Air) within limit : Yes
NMR submitted : NA.
	NIL
	S.S sink
	 
	CTE  granted and valid up to 03.12.2010
Stack monitoring report of APCS submitted on 16.06.2009
AR of ECS submitted on july 2009
Inspection conducted on 01.06.2010
	Issue SCN for closure u/s 31(A) of the Air Act and u/s 5 of the EPA on the basis of the observations during inspection. 
Issue SCN u/s 31(A) of the Air Act to the M/s Shivam Plastic (plastic reprocessing unit) and notice u/s 21/22 of the Air Act and u/s 25/26 of the Water Act to M/s Suresh Bansal (Engg. unit) found during inspection. 
	This case was discussed in CMC(Orange) meeting dated 27.08.2010. Accordingly, SCN was issued on 21.09.2010 to M/s Ganesh International. Since no reply received, confirm closure directions to M/s Ganesha International. Issue SCN u/s 31(A) of the Air Act to M/s Shivam Plastic (plastic reprocessing unit) and M/s Suresh Bansal (Engg. unit) found during inspection.  

	8
	31052
	10-08-2009
	NAVEEN PRINTERS
	F-11B, PHASE-I
	OKHLA INDUSTRIAL AREA
	OPERATE
	CTE : obtained on 27.01.10
Water Consumption :400l/d
Waste Water generation : 
(a) Domestic effluent: 250l/d
(b) Trade effluent: NIL
Date of Commissioning: June 2009
ETP :NA.
STP : No. 
Test Report (Water) within limit :  NA.
Test Report (Air) within limit :  NA. 
NMR submitted :  NA.
	NIL
	Printing & Binding
	 
	1.D.G.Set: NIL
2. G.W: nil
3. HWM:  applied on 10.08.09
4. CTE issued on 27.01.10
	Recommended for grant of consent to operate. Ask the unit to apply for fresh authorization under HWM Rules. 
	Issue consent to operate. Ask the unit to apply for fresh authorization under HWM Rules. 

	9
	31051
	10-08-2009
	HELIX LATEX INDUSTRIES
	B-28
	GTK ROAD INDUSTRIAL AREA
	OPERATE
	CTE : Not applied.
Water Consumption : 500L/D
Waste Water generation : 
(a) Domestic effluent: 400L/D 
(b) Trade effluent: NIL
Date of Commissioning: 1980
ETP : NA.
STP : No. 
Test Report (Water) within limit :  NA.
Test Report (Air) within limit : Yes 
NMR submitted : Yes (13.05.2009).
	500L/D
	Mfg. of sports goods , handgloves , balloons etc.
	 
	CTO applied on  18.05.2005 
stack monitoring report submitted on 19.06.2009
	Ask the unit to apply for consent to establish. Inform to DJB regarding ground water extraction. 
	Ask the unit to apply for consent to establish. Inform to DJB regarding ground water extraction. 

	10
	31042
	07-08-2009
	R S PRODUCTS PVT. LTD.
	A-22, PHASE-I
	OKHLA INDUSTRIAL AREA
	RENEWAL
	CTE : applied on 08.07.10
Water Consumption :1.4KLD (application)/ 1.25 KLD (affidavit)
Waste Water generation : 
(a) Domestic effluent: 400 l/d (application)/ 400 KLD (affidavit)
(b) Trade effluent: 50 l/d (application)/ 50 KLD (affidavit)
Date of Commissioning: 1994
ETP :  No
STP :  No. 
Test Report (Water) within limit : NA.
Test Report (Air) within limit : NA. 
NMR submitted :  NA.
	 
	Mfg of Plastic Hangers, LLDPE Irrigation Pipe.
	 
	1.D.G.Set: NIL
2. G.W: nil
3. HWM: not applied 
4. Applied for CTE on 08.07.10
5. CTO valid upto 06.06.05.
	Ask the unit to apply for fresh consent to establish in view of additional activity i.e. irrigation pipe and clarification w.r.t. the trade effluent discharged mentioned in the consent to operate application.  
	Ask the unit to apply for fresh consent to establish in view of additional activity i.e. irrigation pipe and clarification w.r.t. the trade effluent discharged mentioned in the consent to operate application.  

	11
	31041
	07-08-2009
	JDI PAINTS INDUSTRIES
	A-93, PHASE
	OKHLA INDUSTRIAL AREA
	RENEWAL
	CTE : not applied.
Water Consumption :100 lt/d
Waste Water generation : 
(a) Domestic effluent: 100 lt/d
(b) Trade effluent: nil
Date of Commissioning: 1985 
ETP :  NA.
STP :  No. 
Test Report (Water) within limit : NA.
Test Report (Air) within limit : NA. 
NMR submitted : NA.
	nil
	Packing of Enamel Paint
	 
	1.D.G.Set: nil
2. G.W: nil
3. HWM: not applied 
4. CTE not applied.
5. Earlier CTO valid upto 29.11.05 Consent order no no. 3169 for the activity of Mfg. of Enamel Paint.
6. CTO (Green) cancelled on 16.04.09 vd id no.284 for the activity of Packaging of Enamel Paint & Office.
	The unit has earlier obtained consent to operate for mfg. of enamel paints and subsequently applied for packing of enamel paints under Green category. The green category application was made infructuous and unit was asked to apply under Orange category. Now, the unit has applied for consent to operate only for packing of the paint. Recommended for not to insist for CTE inspite of changed activity. Ask the unit to apply for authorization under HWM Rules. 
	Inspection be conducted. Ask the unit to apply for authorization under HWM Rules.

	12
	31035
	07-08-2009
	MAIDAN BROTHERS
	A-50/1, PHASE-II
	OKHLA INDUSTRIAL AREA
	RENEWAL
	CTE : not required.
Water Consumption : 350 lt/d in application form & 200 lt/d on affidavit.
Waste Water generation : 
(a) Domestic effluent: 150 lt/d
(b) Trade effluent: nil
Date of Commissioning: 1973
ETP : NA.
STP : No. 
Test Report (Water) within limit : NA.
Test Report (Air) within limit : NA. 
NMR submitted : Yes
	nil
	Mfg. of PVC Compound
	 
	1.D.G.Set: 62.05 kva, NMR dt. 23.07.09 submitted. 
2. G.W: nil
3. HWM: not applied 
4. CTE not required.
5. CTO valid upto 25.03.06  Consent order no no. 5577, Earlier CTR valid upto 16.05.09 CNO no. 15015.
	Recommended for grant of renewal of consent.
	Issue renewal of consent.

	13
	31029
	06-08-2009
	SUNRISE AUTO WORLD PVT. LTD.
	PLOT NO-376, BLOCK-5
	PATPARGANJ INDUSTRIAL AREA
	OPERATE
	CTE : Yes
Water Consumption :6 kilo litrs/day.
Waste Water generation : 
(a) Domestic effluent: 0.8 kilo lits/day.
(b) Trade effluent:5.0 kilo lits/day.
Date of Commissioning: 2008 (existing).
ETP : Yes.(09.05.2009.
STP : No. 
Test Report (Water) within limit : Yes .
Test Report (Air) within limit : NA.
NMR submitted : Yes (23.02.2009)
	No
	Service Station of Cars
	30.01.2009
issue CTE, call on 18.03.2009.


15.06.2009.
ask the unit to apply for CTO.call on 12.08.2009.
	CTE granted, valid upto 18.02.2010.
DG set:62.5 KV
HWM : not applied. 
	Ask the unit to apply for authorization under HWM Rules. 
	Ask the unit to apply for authorization under HWM Rules. 

	14
	31028
	06-08-2009
	TAKKAR INDUSTRIES
	Z-31
	OKHLA INDUSTRIAL AREA
	OPERATE
	CTE : issued on 04.06.10
Water Consumption :250lt/d
Waste Water generation : 
(a) Domestic effluent: 100lt/d
(b) Trade effluent: Nil
Date of Commissioning: March 2009 
ETP :  NA.
STP :No. 
Test Report (Water) within limit : NA.
Test Report (Air) within limit : NA. 
NMR submitted : NA.
	NIL
	Mfg. of PVC Compounds (Dana)
	 
	1.D.G. Set-Nil.
2. G.W-Nil.
3.HWM- not applied
4.CTE(Orange)  granted Consent order no .24007 valid upto 03.06.11.
	Recommended for grant of consent to operate.
	Issue consent to operate.

	15
	31024
	05-08-2009
	ATC PRECISION COMPONENTS PVT LTD.
	B-140, PHASE-I
	MAYAPURI INDUSTRIAL AREA
	OPERATE
	CTE : Issued valid upto 06.06.2011
Water Consumption :0.800 KLD 
Waste Water generation : 
(a) Domestic effluent: 0.600 KLD
(b) Trade effluent: 0.2 KLD(cooling water recirculated)
Date of Commissioning: since 2001
ETP : N/A.
STP :  N/A. 
Test Report (Water) within limit :  NA.
Test Report (Air) within limit : NA. 
NMR submitted : Yes, dated 25.05.009.(D.G. Set: 125 KVA)
No of Workers: 35
Plot area: 276 sqm
	200 LPD
	Plastic & Bakelite molded items.
	 
	 
	Recommended for grant of consent to operate. Inform to DJB regarding ground water extraction. 
	Issue consent to operate. Inform to DJB regarding ground water extraction. 

	16
	31017
	04-08-2009
	B S CABLES
	340/9, GALI NO. 1B
	FRIENDS COLONY INDUSTRIAL AREA
	RENEWAL
	CTE : Not required.
Water Consumption :120 lits/day
Waste Water generation : 
(a) Domestic effluent: 50 lits/day
(b) Trade effluent: nil
Date of Commissioning: April 2000 (existing).
ETP :N/A
STP : N/A
Test Report (Water) within limit : N/A
Test Report (Air) within limit : N/A
NMR submitted : NA.
	No
	Mfg. of PVC wire & cable.
	 
	CTO granted , valid up to 06.08.2005.
CT(o)R granted, valid upto 19.12.2008.
	Recommended for grant of renewal of consent.
	Issue renewal of consent.

	17
	31013
	04-08-2009
	INTERNATIONAL PACKERS
	PLOT NO 15, SECTOR-3, POCKET-F
	BAWANA INDUSTRIAL AREA
	OPERATE
	CTE : yes
Water Consumption :250lpd
Waste Water generation : 
(a) Domestic effluent: 100 lpd
(b) Trade effluent: Nil
Date of Commissioning:Jan, 2009 
ETP :  NA.
STP :  No. 
Test Report (Water) within limit : NA.
Test Report (Air) within limit : NA. 
NMR submitted : NA.
	NIL
	Mfg. of Corrugated Boxes with Printing.
	21.1.2009 
The Unit to Take membership of CETP and Ensure its Outlet is Linked with the conveyance system of CETP. Ask the unit the affidavit in this Regard.call on 25.2.2009.
25.2.2009
Issue final reminder.Callon 02.04.2009
02.04.09
Call on 12.05.09
12.06.09 
Ask the unit to apply for consent to Operate. Call on 05.08.09
06.08.09 
Issue final reminder Call on 30.09.09

07.05.2010
Issue consent to establish with the suggestion to install fire safety equipments. Ask the unit to apply for fresh authorization under HWM Rules.
	CTE issued on 11.06.2010 and valid upto 10.06.2011

HWM applied on 04.08.2009

Letter issued to unit on 30.06.09 in compliance of decision dated 12.06.09. 

Applied for CTO on 04.08.2009
	Recommended for grant of consent to operate. Issue reminder for authorization under HWM Rules. 
	Issue consent to operate. Issue reminder for authorization under HWM Rules. 

	18
	31010
	04-08-2009
	ANIL MITTAL
	458/466/1, GALI NO 8
	FRIENDS COLONY INDUSTRIAL AREA
	OPERATE
	CTE : Applied on 04.08.2009.
Water Consumption :0.20 kilo lits/day
Waste Water generation : 
(a) Domestic effluent: 0.15 kilo lits/day
(b) Trade effluent: nil
Date of Commissioning: 2009 (existing)
ETP :  N/A
STP : N/A
Test Report (Water) within limit : N/A
Test Report (Air) within limit :  No . 
NMR submitted :  NA.
	MCD
	PVC compound 
	 
	
	Issue SCN for refusal of consent for non compliance of the letter issued to the unit in respect of CTE application regarding submission of Bank Guarantee of Rs. 1 Lakh each under Air Act valid for one year and submission of report of channelization with photographs, stack monitoring report to substantiate that the particulate matter and HCL mist are within the limit of 150 mg/nm3 and 35 mg/nm3 respectively, from approved laboratory of DPCC. The unit may also be calrified that adequacy report is also required in case the channelization system is connected with emission control system. 
	Issue SCN for refusal of consent and SCN u/s 31(A) of the Air Act for non compliance of the letter issued to the unit in respect of CTE application regarding submission of Bank Guarantee of Rs. 1 Lakh each under Air Act valid for one year. 

	19
	31005
	04-08-2009
	ASHOOSONS
	B-2
	WAZIRPUR INDUSTRIAL AREA
	RENEWAL
	CTE : 
Water Consumption : 0.3 kld
Waste Water generation : 
(a) Domestic effluent :0.1 kld 
(b) Trade effluent: NIL
Date of Commissioning: 2002
ETP : NA.
STP :  No. 
Test Report (Water) within limit : NA.
Test Report (Air) within limit : NA. 
NMR submitted : No .
	0.3 kld 
	Mfg. of artificial teeth
	 
	CTR  granted and valid up to 25.07.2008
1 DG set of 15KVA stack height 3 mts. 
	Issue SCN for refusal of consent for non submission of noise monitoring report from approved laboratory of DPCC. Inform to DJB regarding ground water extraction. 
	Issue SCN for refusal of consent for non submission of noise monitoring report from approved laboratory of DPCC. Inform to DJB regarding ground water extraction. 

	20
	31004
	03-08-2009
	AVKASH INDUSTRIES
	308/2
	SHAHZADA BAGH INDUSTRIAL AREA
	RENEWAL
	CTE : Not applicable.
Water Consumption :100lpd(approx)
Waste Water generation : 
(a) Domestic effluent: Nil
(b) Trade effluent: Nil
Date of Commissioning: 1970
ETP : NA.
STP : NA. 
Test Report (Water) within limit : NA.
Test Report (Air) within limit :  NA. 
NMR submitted : NA.
	Nil
	Mfg. of Rubber Chapal
	 
	CTO obtained twice. 
	Inspection be conducted to confirm non existence of boiler. 
	Inspection be conducted to confirm non existence of boiler. 

	21
	31002
	03-08-2009
	DUGGAR FIBER PVT LTD.
	C-10
	SMA INDUSTRIAL AREA
	RENEWAL
	CTE : Not required. 
Water Consumption :
Waste Water generation : 
(a) Domestic effluent: 
(b) Trade effluent: 
Date of Commissioning: 
ETP : Yes / No / NA.
STP : Yes / No. 
Test Report (Water) within limit : NA.
Test Report (Air) within limit : Yes . 
NMR submitted : Yes .
	NIL
	 
	 
	CTR  granted and valid up to 09.06.2006.
CTR applied on 17.08.2006
	File be put up administratively in view of the court cases filed by the induction furances units. 
	File be put up administratively in view of the court cases filed by the induction furances units. 

	22
	31001
	03-08-2009
	HORIZON INDUSTRIES
	47
	NAJAFGARH ROAD INDUSTRIAL AREA
	OPERATE
	CTE : Issued valid upto 17.11.2010
Water Consumption : 0.5 KLD
Waste Water generation : 
(a) Domestic effluent: 0.1 KLD
(b) Trade effluent: nil
Date of Commissioning: Feb, 2008
ETP : N/A
STP : N/A
Test Report (Water) within limit : NA.
Test Report (Air) within limit :  NA. 
NMR submitted :15.05.2009. D.G set of 125 KVA
No of Workers: 9
Plot area:  1009 sqm
	nil
	Electric cable, wire and conductor
	Decision on 20.10.09
Issue Consent to Establish. Subsequently, inspection be conducted.
Decision on 23.03.2010
Ask the unit to correct the deficiencies observed during the inspection.
	Inspection conducted on 23.12.2009.
Letter issued to the unit on 03.05.2010 for rectifiction of deficiencies. Unit submitted its reply on 17.05.2010 stating that they have provided two no. of exhaust fan for removal of exhaust generated by electric furnance.
	Recommended for grant of consent to operate. Inform to DJB in view of the existence of borewell found during inspection. 
	Issue consent to operate. Inform to DJB in view of the existence of borewell found during inspection. 

	23
	31000
	03-08-2009
	B.B. STEELS PVT LTD.
	55
	SSI INDUSTRIAL AREA
	RENEWAL
	CTE : Not required, as CTO granted twice
Water Consumption :1KLD
Waste Water generation : 
(a) Domestic effluent: 0.5KLD
(b) Trade effluent: NIL
Date of Commissioning: July, 1990
ETP :  NA.
STP : No. 
Test Report (Water) within limit :  NA.
Test Report (Air) within limit :  stack monitoring report for furnace submitted on 31.07.2009. 
NMR submitted : NA.
	NIL
	Rolling of  S.S Ingots into thinner sections  viz. flats and bars
	 
	CTO  granted and valid up to 09.06.2006
CTR  granted and valid up to 06.08.2009
One furnace installed.stack monitoring report submitted on 31.07.2009
	Recommended for grant of renewal of consent with the condition that capacity shall be less than 25 MT/day. 
	Issue renewal of consent with the condition that capacity shall be less than 25 MT/day. 

	24
	30998
	03-08-2009
	AJAY POLYMERS
	97, PHASE-II
	BADLI INDUSTRIAL ESTATE
	RENEWAL
	CTE : Not required.
Water Consumption :300 L/D
Waste Water generation : 
(a) Domestic effluent: 250 L/D
(b) Trade effluent: NIL
Date of Commissioning: 1990
ETP :  NA.
STP : NA 
Test Report (Water) within limit :  NA.
Test Report (Air) within limit :  NA. 
NMR submitted : NA.
	NIL
	Mfg of PVC plastic footwear
	 
	CTR  granted and valid up to 16.04.2008.
	Recommended for grant of renewal of consent.
	Issue renewal of consent.

	25
	30996
	03-08-2009
	CONTINENTAL DEVICE INDIA LIMITED
	C-120
	NARAINA INDUSTRIAL AREA PH-I
	RENEWAL
	CTE : No
Water Consumption : 67.86 KLD
Waste Water generation : 
(a) Domestic effluent: 30 KLD
(b) Trade effluent: 24.97 KLD
Date of Commissioning: 
ETP : Yes 
STP : N/A
Test Report (Water) within limit : Yes 
Test Report (Air) within limit : Yes 
NMR submitted : 02.06.2009, D.G. Set of 3X500 KVA .
No of Workers:164
Plot area: 10018 sqm
	49.27 KLD
	Mfg. of electronics semiconductor devices.
	 
	Applied for renewal of authorization under HWM Rules on 17.09.2009.
Earlier CTO & CTO_R issed valid upto 05.08.2009
	Recommended for grant of renewal of consent. Ask the unit to apply for fresh authorization under HWM Rules. Inform to DJB regarding ground water extraction. 
	Issue renewal of consent with the condition to send the e-waste to registered recycler. Ask the unit to apply for fresh authorization under HWM Rules. Inform to DJB regarding ground water extraction. 

	26
	30987
	03-08-2009
	PREMIER RUBBER INDUSTRIES
	69
	NAJAFGARH ROAD INDUSTRIAL AREA
	RENEWAL
	CTE : Not required.
Water Consumption : 200 LPD
Waste Water generation : 
(a) Domestic effluent: 160 LPD
(b) Trade effluent: nil
Date of Commissioning: 1988
ETP :  N/A
STP  N/A
Test Report (Water) within limit : NA.
Test Report (Air) within limit : NA. 
NMR submitted :  NA.(No D.G. Set)
No of Workers:14
Plot area: 328 sqm
	230 LPD
	Mfg of footwear and footwear parts
	 
	Earlier CTO issued twice valid upto 17.07.2003 & 17.07.2006.
CTO_R issed valid upto 12.07.2009
	Recommended for grant of renewal of consent. Inform to DJB regarding ground water extraction. 
	Issue renewal of consent. Inform to DJB regarding ground water extraction. 

	27
	30985
	31-07-2009
	PAWAN CASTINGS
	100, PHASE-II
	BADLI INDUSTRIAL ESTATE
	RENEWAL
	CTE : YES
Water Consumption :200 L/D
Waste Water generation : 
(a) Domestic effluent:140 L/D 
(b) Trade effluent: NIL
Date of Commissioning: Since october,1986
ETP :  NA.
STP : No. 
Test Report (Water) within limit : NA.
Test Report (Air) within limit :  NA. 
NMR submitted :  NA.
	NIL
	Aluminium pressure die casting
	 
	CTE applied on 07.05.2005
HW auth. Granted on 11.10.2004
Unit is having one melting furnace, analysis report submitted.
	Clarification from DDA is awaited. In the meantime, inspection be conducted to ascertain the control measures. 
	Clarification from DDA is awaited. In the meantime, inspection be conducted to ascertain the control measures. 

	28
	30982
	31-07-2009
	A.S. ENTERPRISES
	531, PLOT NO 10, GALI NO 4
	FRIENDS COLONY INDUSTRIAL AREA
	OPERATE
	CTE : Yes
Water Consumption :100 lits/day
Waste Water generation : 
(a) Domestic effluent: 50 lits/day
(b) Trade effluent: nil
Date of Commissioning: August 2009.
ETP : No
STP : No. 
Test Report (Water) within limit :  No.
Test Report (Air) within limit :No 
NMR submitted :  No 
	No
	Mfg. of Wire & cables.
	12.05.2010.
issue CTE.
	CTE granted , valid up to 05.04.2011. 
	Recommended for grant of consent to operate.
	Issue consent to operate.

	29
	30978
	31-07-2009
	MY SUN & COMPANY
	W-20, PHASE-II
	OKHLA INDUSTRIAL AREA
	OPERATE
	CTE : issued on 04.08.08
Water Consumption :100lt/d
Waste Water generation : 
(a) Domestic effluent: 80lt/d
(b) Trade effluent: Nil
Date of Commissioning: 01.04.2007 
ETP : NA.
STP :  No. 
Test Report (Water) within limit : NA.
Test Report (Air) within limit : NA. 
NMR submitted : NA.
	NIL
	Mfg. of Fluores tube Fixtures  and Electrical Fittings without casting.
	 
	1.D.G. Set-Nil.
2. G.W-Nil.
3.HWM- not applied 
4.CTE(Orange)  granted CNO.18709 valid upto 04.08.08.
	Recommended for grant of consent to operate.
	Issue consent to operate.

	30
	30977
	31-07-2009
	S.K. POLYMERS
	A-101/5
	WAZIRPUR INDUSTRIAL AREA
	OPERATE
	CTE : YES
Water Consumption :250 L/D
Waste Water generation : 
(a) Domestic effluent: 20 L/D
(b) Trade effluent: NIL
Date of Commissioning: 2008
ETP :  NA.
STP : No. 
Test Report (Water) within limit :  NA.
Test Report (Air) within limit : NA. 
NMR submitted :  NA.
	NIL
	Mfg of pet bottles
	29.04.2009-Issue final reminder to the unit to install suction and hood arrangement for fugitive emissions control and also the unit to get it connected to conveyance system leading to CETP. 
Issue final reminder to M/s Bhagwant Lal and Chaman to apply for Consent to Establish. Call on 15.04.2009.
28.05.2009- paste the letter on the premises
07.05.2010 - Issue CTE 
	CTE  granted and valid up to 31.05.2011
	Recommended for grant of consent to operate.
	Issue consent to operate. Find out the status of other two remaining units  and put up administratively. 

	31
	30974
	31-07-2009
	DELHI ROTO PRINTERS
	PLOT NO 6
	SSI INDUSTRIAL AREA
	RENEWAL
	CTE : Not applied
Water Consumption :0.2 KLD
Waste Water generation : 
(a) Domestic effluent: 0.1 KLD
(b) Trade effluent: NIL
Date of Commissioning: 1997
ETP : NA.
STP :  No. 
Test Report (Water) within limit : NA.
Test Report (Air) within limit :  No  
NMR submitted : Yes (02.07.2009)
	0.2 KLD
	Printing papers
	 
	CTO  granted and valid up to 25.07.2005
CTR applied on 21.07.2005
DG set-62.5 KVA stack ht. 13 m above RL.
Applied for HW authorization on 31.07.2009
	Ask the unit to apply for consent to establish and fresh authorization under HWM Rules. Inform to DJB regarding ground water extraction. 
	Ask the unit to apply for consent to establish and fresh authorization under HWM Rules. Inform to DJB regarding ground water extraction. 

	32
	30968
	31-07-2009
	SATYAM POWER INDL. CABLES
	G-1031, DSIDC
	NARELA INDUSTRIAL AREA
	OPERATE
	CTE : Yes.
Water Consumption :130 L/D
Waste Water generation : 
(a) Domestic effluent:60 L/D 
(b) Trade effluent: NIL
Date of Commissioning: 2001
ETP : NA.
STP :  No. 
Test Report (Water) within limit :  NA.
Test Report (Air) within limit :  NA. 
NMR submitted : NA.
	NIL
	PVC Wire and cable
	 
	 
	Issue SCN to the unit stating as to why the necessary action should not be initiated under the provision of the law as the unit has submitted the affidavit on the stamp papers purchased in the name of DPCC. 
	Issue SCN to the unit stating as to why the necessary action should not be initiated under the provision of the law as the unit has submitted the affidavit on the stamp papers purchased in the name of DPCC. 

	33
	30967
	31-07-2009
	SHAKTI BHOG FOODS LTD.
	24
	SSI INDUSTRIAL AREA
	RENEWAL
	CTE : Not Applied
Water Consumption :750L/D
Waste Water generation : 
(a) Domestic effluent: 300L/D
(b) Trade effluent: NIL
Date of Commissioning: 1990 
ETP  NA.
STP :  No. 
Test Report (Water) within limit :  NA.
Test Report (Air) within limit : Yes
NMR submitted : Yes .
	750 L/D
	Wheat Flour manufacturing
	 
	CTO  granted and valid up to 25.07.2005
DG set-320 KVA X2 and 30 KVA
AR of ECS submitted on 22.07.2009
	Ask the unit to apply for consent to establish. Inform to DJB regarding ground water extraction. 
	Ask the unit to apply for consent to establish. Inform to DJB regarding ground water extraction. 

	34
	30964
	30-07-2009
	KUNAL CABLES
	NO 375, PLOT NO 6 & 7, GALI NO 4
	FRIENDS COLONY INDUSTRIAL AREA
	RENEWAL
	CTE : yes
Water Consumption :150 lits/ day
Waste Water generation : 
(a) Domestic effluent: 20 lits/day
(b) Trade effluent: nil
Date of Commissioning: 2005 (existing).
ETP : N/A
STP : N/A
Test Report (Water) within limit : N/A
Test Report (Air) within limit :  No . 
NMR submitted : no
	No
	Mfg. of Wires & Cables and PVC compounds.
	17.06.2009
issue SCN.
	CTE granted , valid up to 31.01.2006.
CTO granted, valid upto 27.03.2009.
20.07.2009.
letter received of SCN
	Ask the unit to submit the details of the channelization system to be installed in view of earlier direction of DPCC, supported by affidavit and photographs. 
	Ask the unit to submit the details of the channelization system to be installed in view of earlier direction of DPCC, supported by affidavit and photographs. 

	35
	30961
	30-07-2009
	IMPRESARIO ENTERTAINMENT & HOSPITALITY PVT. LTD.
	C-86, PHASE-I
	OKHLA INDUSTRIAL AREA
	OPERATE
	CTE : issued on 07.06.10
Water Consumption : 1200 lt/d in application form & 1.2 kl/yr in affidavit.
Waste Water generation : 
(a) Domestic effluent: 0.2 kl/yr 
(b) Trade effluent: 1000 lt/d
Date of Commissioning: 01.01.09
ETP : Yes 
STP : No. 
Test Report (Water) within limit : No
Test Report (Air) within limit : NA. 
NMR submitted : Yes
	NIL
	Mfg. of Food Product
	 
	1.D.G.Set: 50 kva, NMR dt. 25.05.09 submitted.
2. G.W: nil
3. HWM: not applied  
4. CTE issued on 07.06.10 CNO no. 24014.
5. ETP installed, adequacy report dt. July 2009 & effluent analysis report dt.15.07.09 submitted.
	Issue SCN for refusal of consent in view of exceeding parameter(s) and other deficiencies in documents sumitted by the unit. 
	Issue SCN for refusal of consent and SCN u/s 33(A) of the Water Act in view of exceeding parameter(s) and other deficiencies in documents sumitted by the unit. 

	36
	30960
	30-07-2009
	MIDLITE ELECTRICALS (P) LTD.
	12, STREET NO 4
	FRIENDS COLONY INDUSTRIAL AREA
	RENEWAL
	CTE :Not required. 
Water Consumption :1000 lits/day
Waste Water generation : 
(a) Domestic effluent: 500 lits/day
(b) Trade effluent: nil
Date of Commissioning: 1978 (existing).
ETP : NA.
STP :N/A
Test Report (Water) within limit :  N/A
Test Report (Air) within limit : No. 
NMR submitted :  NA.
	No
	Manufacture, store and sell the PVC insulated electric wire & cables.
	 
	CTR granted , valid up to 19.06.2006.
CTR granted, valid upto 21.08.2009.
	Recommended for grant of renewal of consent.
	Issue renewal of consent.

	37
	30959
	30-07-2009
	METRO FOOTWEAR INDUSTRIES
	C-131
	NARAINA INDUSTRIAL AREA PH-I
	RENEWAL
	CTE : not applied in the changed name.
Water Consumption :175 LPD
Waste Water generation : 
(a) Domestic effluent: 75 LPD
(b) Trade effluent: Nil
Date of Commissioning: June 2006
ETP :  N/A
STP :  N/A 
Test Report (Water) within limit :  NA.
Test Report (Air) within limit :  NA. 
NMR submitted :  NA.(No D.G. Set)
No of Workers: 8
Plot area: 250 sqm
	NIL
	PVC compound and footwear
	 
	Earlier CTO & CTO (R) issued  in the name of M/s Metro Plastic Inds. 
Applied for CTO in the name of M/s Metro Footwear Inds on 14.05.2007 vide I.D. no. 21301
	Ask the unit to submit the documentary proof regarding change of name. 
	Ask the unit to submit the documentary proof regarding change of name and to clarify the proper chemical name of the foaming material mentioned in raw material to ascertain the possibility of mfg of polyurethene.

	38
	30957
	30-07-2009
	SUN AUTO INDUSTRIES
	PLOT NO 52, PHASE-II
	BADLI INDUSTRIAL ESTATE
	RENEWAL
	CTE : Not required.
Water Consumption :0.03KLD
Waste Water generation : 
(a) Domestic effluent: 0.02 KLD
(b) Trade effluent: NIL
Date of Commissioning: 2002
ETP :  NA.
STP :  No. 
Test Report (Water) within limit : NA.
Test Report (Air) within limit : NA. 
NMR submitted :  NA.
	21205L/D
	Mfg of plastic auto parts
	 
	CTO  & CTO(R) granted and valid up to 13.08.2005 and 11.01.2009 respectively.
	Recommended for grant of renewal of consent. Inform to DJB regarding ground water extraction. 
	Issue renewal of consent. Inform to DJB regarding ground water extraction. 

	39
	30956
	30-07-2009
	J.C. AUTO INDUSTRIES
	PLOT NO 19, PHASE-II
	BADLI INDUSTRIAL ESTATE
	RENEWAL
	CTE : Not applicable.
Water Consumption :0.3KLD
Waste Water generation : 
(a) Domestic effluent: 0.2 KLD
(b) Trade effluent: NIL
Date of Commissioning: 1995
ETP : NA.
STP :No. 
Test Report (Water) within limit : Yes / No / NA.
Test Report (Air) within limit : Yes / No / NA. 
NMR submitted : Yes / No / NA.
	 
	Mfg of plastic auto parts
	 
	CTR  granted and valid up to 11.01.2009
	Recommended for grant of renewal of consent.
	Issue renewal of consent.

	40
	30952
	30-07-2009
	MINI TECH WIRES
	SHED NO 29, DSIDC, PHASE-II, SECTOR-3
	OKHLA INDUSTRIAL AREA
	OPERATE
	CTE :  issued on 15.04.10.
Water Consumption : 300 lt/d
Waste Water generation : 
(a) Domestic effluent: 100 lt/d
(b) Trade effluent: nil
Date of Commissioning: 1998 
ETP : NA.
STP : No. 
Test Report (Water) within limit : NA.
Test Report (Air) within limit : NA. 
NMR submitted : NA.
	300 lt/d
	Drawing of Bar/Tinned, Drawing of Copper Wire & Extrusion of Wire & Cable
	 
	1.D.G.Set: nil
2. G.W: shows nil in application form & 300 lt/d in affidavit, CGWA/ DJB clearance not submitted.
3. HWM:  not applied 
4. CTE issued on 15.04.10 CNO no. 23267.
5. CTO applied on 27.12.04 vd id no. 12341.
	Ask the unit to apply for authorization under HWM Rules. Inform to DJB regarding ground water extraction. 
	Ask the unit to apply for authorization under HWM Rules. Inform to DJB regarding ground water extraction. 

	41
	30944
	30-07-2009
	ASPEE DYE-CHEM INDUSTRIES
	PLOT NO. 30, POCKET-K, SECTOR-3
	BAWANA INDUSTRIAL AREA
	OPERATE
	CTE : Pending
Water Consumption :120lpd
Waste Water generation : 
(a) Domestic effluent: 70 lpd
(b) Trade effluent: Nil
Date of Commissioning: July, 2009 
ETP :  NA.
STP : No. 
Test Report (Water) within limit :  NA.
Test Report (Air) within limit :  NA. 
NMR submitted : NA.
	NIL
	Re-Packing of Gambier Extracts (Katha)
	 
	Inspection conducted. 
CTE applied on 21.07.2009
CTO applied on 30.07.2009
	Consent to establish refused w.r.t. M/s Aspee Dyechem Industries. Issue SCN u/s 21/22 of the Air Act and u/s 25/26 of the Water Act to M/s S.K.Enterprises.
	Consent to operate refused w.r.t. M/s Aspee Dyechem Industries. File be put up administratively w.r.t. SCN u/s 21/22 of the Air Act and u/s 25/26 of the Water Act issued to M/s S.K.Enterprises.

	42
	30942
	30-07-2009
	SHANKER ENTERPRISES
	C-84, DDA SHEDS, PHASE-I
	OKHLA INDUSTRIAL AREA
	OPERATE
	CTE : issued on 17.06.09
Water Consumption : 250L/d + 700Lper 15 days.
Waste Water generation : 
(a) Domestic effluent: 200L(in application) & 80L/d(on affidavit)
(b) Trade effluent: 700L/15days(on application) & NIL (on affidvait)
Date of Commissioning: Dec 2008
ETP :  No .
STP :  No. 
Test Report (Water) within limit :  No .
Test Report (Air) within limit :  No . 
NMR submitted :  No
	NIL
	Mfg of Winding Wires (Submersible)
	 
	1.D.G. Set- 25 KVA.
2. G.W-Nil.
3.HWM- not applied 
4.CTE(Orange)  granted CNO.20636 valid upto 17.06.09.
	Inspection be conducted. 
	Inspection be conducted. 

	43
	30939
	30-07-2009
	POPULAR FOOTWEAR INDIA PVT. LTD.
	69
	NAJAFGARH ROAD INDUSTRIAL AREA
	RENEWAL
	CTE : not applicable. 
Water Consumption :100 LPD
Waste Water generation : 
(a) Domestic effluent: 80 LPD
(b) Trade effluent: NIL
Date of Commissioning: 1998
ETP :  N/A
STP :  N/A 
Test Report (Water) within limit : NA.
Test Report (Air) within limit : NA. 
NMR submitted :  NA. (No D. G. Set)
No of Workers: 6
Plot area: 280 sqm
	100 LPD
	Mfg. of footwears & PVC soles
	 
	Earlier CTO issued twice valid upto 24.07.2003 & 24.07.2006.
CTO_R issued valid upto 24.08.2009.
	Recommended for grant of renewal of consent. Inform to DJB regarding ground water extraction. 
	Issue renewal of consent. Inform to DJB regarding ground water extraction. 

	44
	30938
	30-07-2009
	POPULAR RUBBER INDUSTRIES-II
	69
	NAJAFGARH ROAD INDUSTRIAL AREA
	RENEWAL
	CTE : not applicable. 
Water Consumption :300LPD
Waste Water generation : 
(a) Domestic effluent: 240 LPD
(b) Trade effluent: NIL
Date of Commissioning: 1968
ETP :  N/A
STP :  N/A 
Test Report (Water) within limit :  NA.
Test Report (Air) within limit : Yes / No / NA. 
NMR submitted : Yes, dated 16.06.2009.(D.G. Set: 140 KVA, 200 KVA & 180 KVA)
No of Workers:18
Plot area: 1440 sqm
	300 LPD
	Mfg. of footwears, PVC & EVA soles and components
	 
	Earlier CTO issued twice valid upto 17.07.2003 & 17.07.2006.
CTO_R issued valid upto 24.08.2009
	Recommended for grant of renewal of consent. Inform to DJB regarding ground water extraction. 
	Issue renewal of consent. Inform to DJB regarding ground water extraction. 

	45
	30935
	29-07-2009
	MAHESH KUMAR
	PLOT NO C-558, DSIDC
	NARELA INDUSTRIAL AREA
	RENEWAL
	CTE : YES
Water Consumption :180 L/D
Waste Water generation : 
(a) Domestic effluent: 150L/D
(b) Trade effluent: NIL
Date of Commissioning: Nov. 2001 
ETP : NA.
STP : No. 
Test Report (Water) within limit :  NA.
Test Report (Air) within limit :  NA. 
NMR submitted : NA.
	NIL
	Mfg. of PVC moulding and footwears
	 
	CTE  granted and valid up to 17.06.2005
CTO  granted and valid up to 21.09.2008
	Inspection be conducted to ascertain the activity of Polyurethene.
	Inspection be conducted to ascertain the activity of Polyurethene.

	46
	30933
	29-07-2009
	SINGHAL ENTERPRISES
	1/536/J-2A, GALI NO 5
	FRIENDS COLONY INDUSTRIAL AREA
	RENEWAL
	CTE : yes
Water Consumption :200 Lits/day.
Waste Water generation : 
(a) Domestic effluent: 150 lits/day.
(b) Trade effluent: Nil
Date of Commissioning: July 2005 (Existing).
ETP :  NA.
ECS:  Cyclone Dust Collector
Test Report (Water) within limit :  N/A
Test Report (Air) within limit : . Not submitted..  
AR submitted :  Not submitted.
	No
	Mfg. of Al. kitchen Ware & Utensils, Pressure Cooker with Buffing without Anodising.
	 
	CTE granted, valid upto 02.01.2006.
CTO granted, valid upto16.03.2009.
	Ask the unit to submit the adequacy report for the ECS installed with buffing system from empanelled consultant of DPCC. 
	Ask the unit to submit the adequacy report for the ECS installed with buffing system from empanelled consultant of DPCC. 

	47
	30932
	29-07-2009
	JUNEJA SOAP MILLS
	E-1, PHASE-III
	BADLI INDUSTRIAL ESTATE
	RENEWAL
	CTE : YES
Water Consumption :120 L/D
Waste Water generation : 
(a) Domestic effluent: 50 L/D
(b) Trade effluent: NIL
Date of Commissioning: 2006
ETP :  NA.
STP : No. 
Test Report (Water) within limit :  NA.
Test Report (Air) within limit :  NA. 
NMR submitted : NA.
	NIL
	Mfg of plastic moulding goods
	 
	CTE  granted and valid up to 03.03.2006
CTO  granted and valid up to 03.03.2009
	Recommended for grant of renewal of consent.
	Issue renewal of consent.

	48
	30921
	29-07-2009
	SOHAN LAL & SONS
	A-41, PHASE-II
	MAYAPURI INDUSTRIAL AREA
	OPERATE
	CTE : not apply
Water Consumption :150 LPD
Waste Water generation : 
(a) Domestic effluent: 150 LPD
(b) Trade effluent: Nil
Date of Commissioning: 1963
ETP : N/A
STP :  N/A 
Test Report (Water) within limit :  NA.
Test Report (Air) within limit : NA. 
NMR submitted :  NA.(No D.G. Set)
No of Workers: 02
Plot area: 1106 sqm
	NIL
	Manufacture Adhensive
	 
	Applied for CTO_R ON 18.10.2006 vide I.D. no. 19586.
Applied for fresh authorization under HWM Rules on 27.09.2004
	Inspection be conducted. 
	Inspection be conducted w.r.t negative list as per MPD-2021.

	49
	30918
	29-07-2009
	JAGDAMBA ELECTRONICS (INDIA)
	PLOT NO 333, POCKET-E, SECTOR-5, DSIDC
	BAWANA INDUSTRIAL AREA
	OPERATE
	CTE : yes
Water Consumption :200lt/day
Waste Water generation : 
(a) Domestic effluent: 100lt/day
(b) Trade effluent: Nil
Date of Commissioning: Jan 2007
ETP :  NA.
STP : No. 
Test Report (Water) within limit :  NA.
Test Report (Air) within limit :  NA. 
NMR submitted : NA.
	nil
	Engineering Works &plastic moulding Goods.
	 
	CTE issued on 10.10.2007 valid til 09.10.2008
CTO applied on 29.07.2009
	Recommended for grant of consent to operate.
	Issue consent to operate.

	50
	30917
	28-07-2009
	SHRI SAI TRADERS
	B-2573, DSIDC
	NARELA INDUSTRIAL AREA
	OPERATE
	CTE : YES
Water Consumption :300L/D
Waste Water generation : 
(a) Domestic effluent: 200L/D
(b) Trade effluent: NIL
Date of Commissioning: 2001
ETP :  NA.
STP :  No. 
Test Report (Water) within limit :  NA.
Test Report (Air) within limit : NA. 
NMR submitted : NA.
	NIL
	Mfg of PVC product (footwear & granules)
	 
	CTE  granted and valid up to 05.03.2004
CTO  granted and valid up to 12.07.2009
	Issue SCN to the unit stating as to why the necessary action should not be initiated under the provision of the law as the unit has submitted the affidavit on the stamp papers purchased in the name of DPCC. Inspection may also be conducted.
	Issue SCN for refusal of consent to the unit stating as to why the necessary action should not be initiated under the provision of the law as the unit has submitted the affidavit on the stamp papers purchased in the name of DPCC incorporating that unit is required to clarify the proper chemical name of the foaming material mentioned in raw material to ascertain the possibility of mfg of polyurethene. 

	51
	30916
	28-07-2009
	SHRI VISHNU PRESS
	C-76, PHASE-I
	OKHLA INDUSTRIAL AREA
	OPERATE
	CTE : issued on 07.06.10
Water Consumption :Nil on application & 150lt/d on affidavit 
Waste Water generation : 
(a) Domestic effluent: 100 lt/d
(b) Trade effluent: Nil
Date of Commissioning: Not Mentioning 
ETP :  NA.
STP :  No. 
Test Report (Water) within limit : NA.
Test Report (Air) within limit : NA. 
NMR submitted : Yes / No / NA.
	Nil
	Mfg. of Offset Printing
	 
	1.D.G. Set-Nil.
2. G.W-Nil.
3.HWM- not applied 
4.CTR(Green)  refuse CNO.1271 issued on 24.08.06.
5.CTR(Green)  cancel CNO.100 issued on 08.12.08.
6.CTE(Orange)  granted CNO.24015 valid upto 07.06.10.
	Issue SCN u/s 5 of EPA for not applying for authorization under HWM Rules. 
	Issue SCN u/s 5 of EPA for not applying for authorization under HWM Rules. 

	52
	30915
	28-07-2009
	OM PRINTERS
	F-2758, DSIDC
	NARELA INDUSTRIAL AREA
	OPERATE
	CTE : YES
Water Consumption :145 L/D
Waste Water generation : 
(a) Domestic effluent: 75 L/D
(b) Trade effluent: NIL
Date of Commissioning: June, 2006 
ETP :  NA.
STP :  No. 
Test Report (Water) within limit : NA.
Test Report (Air) within limit : NA. 
NMR submitted : NA.
	NIL
	Mfg of plastic goods (PVC conduit pipe & casing)
	07.05.2010 -Issue CTE
	CTE  granted and valid up to 31.05.11
	Issue SCN to the unit stating as to why the necessary action should not be initiated under the provision of the law as the unit has submitted the affidavit on the stamp papers purchased in the name of DPCC. Also ask the unit to clarify as to why the earlier Consent to Establish has not been obtained for the activity involving use of plastic scrap as mentioned in consent to operate application.
	Issue SCN for refusal of consent and SCN u/s 31(A) of the Air Act to the unit stating as to why the necessary action should not be initiated under the provision of the law as the unit has submitted the affidavit on the stamp papers purchased in the name of DPCC incorporating that unit is required to clarify as to why the earlier Consent to Establish has not been obtained for the activity involving use of plastic scrap as mentioned in consent to operate application.

	53
	30914
	28-07-2009
	ALPNA VARNISHING PRIVATE LIMITED
	C-10, PHASE-I
	OKHLA INDUSTRIAL AREA
	OPERATE
	CTE : applied on 08.04.09
Water Consumption : nil on application form & 110 lt/d on affidavit.
Waste Water generation : 
(a) Domestic effluent: 75 lt/d 
(b) Trade effluent: nil
Date of Commissioning: Dec 2008 
ETP : NA.
STP : No. 
Test Report (Water) within limit : Yes / No / NA.
Test Report (Air) within limit : NA. 
NMR submitted : Yes 
	nil
	Mfg. of Job Work of Print Coating
	In Green CTR:
SCN & Refusal of consent were issued to the unit on 23.03.09 for having printing m/c & D.G.Set w/o acoustic enclosure and improper stack height.

(In CTE application)
07.05.10
Ask the unit to submit Bank Guarantee of Rs. 1 Lakh each under Air Act and HWM Rules valid for one year. If unit submits the Bank Guarantee, Consent to Establish will be granted. Also ask the unit to apply for authorization under HWM Rules in view of industrial use of varnish.
	1.D.G.Set: 110 kva, NMR dt. 22.05.09
2. G.W: nil
3. HWM: not applied  
4. CTE applied on 08.04.09 vd id no. 29472.
5. CTO (Green) granted on 23.12.02 Consent order no. 2605 & CTE (Green) refused on 23.03.07 vd id no. 1760.
Inspection conducted : CTR (Green) dt. 06.02.09.
Letter was issued on 02.07.2010 for compliance of the CMC's decisiond dated 07.05.2010. However, no response received from the unit. 
	Issue SCN for closure of the unit. 
	Issue SCN refusal of consent and SCN for closure of the unit. 

	54
	30913
	28-07-2009
	GOEL PLASTICS
	B-2316, DSIDC
	NARELA INDUSTRIAL AREA
	OPERATE
	CTE : Granted on 05.08.2002
Water Consumption :75 L/D
Waste Water generation : 
(a) Domestic effluent: 50L/D
(b) Trade effluent: NIL
Date of Commissioning: 2007
ETP : NA.
STP :  No. 
Test Report (Water) within limit :  NA.
Test Report (Air) within limit :  NA. 
NMR submitted :  NA.
	NIL
	Mfg of plastic dana (reprocessing w/o washing)
	 
	CTE granted on 05.08.2002. CTO  granted and valid up to 06.05.2006
	Issue SCN to the unit stating as to why the necessary action should not be initiated under the provision of the law as the unit has submitted the affidavit on the stamp papers purchased in the name of DPCC. Also ask the unit to submit the stack monitoring report from approved laboratory with due installation of requisite channelization system for the process emissions, to substantiate the compliance of prescribed standards. 
	Issue SCN for refusal of consnt and SCN u/s 31(A) of the Air Act to the unit stating as to why the necessary action should not be initiated under the provision of the law as the unit has submitted the affidavit on the stamp papers purchased in the name of DPCC incorporating that unit is required to clarify the proper chemical name of the foaming material mentioned in raw material to ascertain the possibility of mfg of polyurethene.  

	55
	30909
	28-07-2009
	SELF SEEKAR PACKAGING LTD.
	SHED NO 10, SCHEME-I, PHASE-II, DSIDC
	OKHLA INDUSTRIAL AREA
	RENEWAL
	CTE : not applied
Water Consumption :100lt/d
Waste Water generation : 
(a) Domestic effluent: 80lt/d
(b) Trade effluent: NIL
Date of Commissioning:1996 
ETP : No.
STP :No. 
Test Report (Water) within limit : NA.
Test Report (Air) within limit :  NA. 
NMR submitted :No.
	NIL
	Mfg. of Polybags with Printing (Shopping Carry Bags)
	 
	1.D.G. Set-Nil.                  2. G.W-Nil                        3.HWM-  not applied                           4.CTO(Orange)  granted CNO.7361 valid upto 17.07.06                  5.CTR(Orange) applied IDN  15177 dated 15.07.05                                                       
	Ask the unit to apply for consent to establish and authorization under HWM Rules. 
	Ask the unit to apply for consent to establish and authorization under HWM Rules. 

	56
	30906
	28-07-2009
	GURUNANAK ENGINEERING WORKS
	71, PHASE-IIC-
	MAYAPURI INDUSTRIAL AREA
	RENEWAL
	CTE : Not required.
Water Consumption :0.2 KLD
Waste Water generation :
(a) Domestic effluent: 0.1 KLD
(b) Trade effluent: Nil
Date of Commissioning: 1990
ETP :  N/A
STP :  N/A 
Test Report (Water) within limit : NA.
Test Report (Air) within limit :  NA. 
NMR submitted :  NA.(No D.G. Set)
No of Workers:8
Plot area: 250 sqm
	NIL
	Concrete mixers & steel fabrication 
	 
	Earlier CTO issued valid upto 23.02.2006.
CTO_R issued valid upto 16.05.2009
	Recommended for grant of renewal of consent.
	Issue renewal of consent.

	57
	30901
	28-07-2009
	J.K. POLYMERS
	PLOT NO K-32
	UDYOG NAGAR INDUSTRIAL AREA
	RENEWAL
	CTE : Not required.
Water Consumption : 0.3 KLD
Waste Water generation : 
(a) Domestic effluent: 0.25 KLD
(b) Trade effluent: nil
Date of Commissioning: 1999
ETP :  NA
STP : NA 
Test Report (Water) within limit :  NA.
Test Report (Air) within limit :  NA. 
NMR submitted :  NA.
No of Workers:13
Plot area: 525 sqm
	nil
	Mfg. of PVC soles and footwear
	 
	Earlier CTO issued twice valid upto 17.07.2003 & 17.07.2006
CTO_R issued valid upto 17.07.2009
	Recommended for grant of renewal of consent.
	Issue renewal of consent.

	58
	30900
	28-07-2009
	MATHARU ENGINEERING WORKS
	K-15
	UDYOG NAGAR INDUSTRIAL AREA
	RENEWAL
	CTE : N/A
Water Consumption :200 LPD
Waste Water generation : 
(a) Domestic effluent: 160 LPD
(b) Trade effluent: nil
Date of Commissioning: 1993
ETP :  NA.
STP :  NA
Test Report (Water) within limit : NA.
Test Report (Air) within limit :  NA. 
NMR submitted :  NA.
No of Workers:8
Plot area: 521.4 sqm
	nil
	Mfg. of Automobile parts & casting
	 
	Earlier CTO issued twice valid upto 17.08.2003 & 17.08.2006
CTO_R issued valid upto 17.08.2009
	Inspection be conducted. 
	Inspection be conducted w.r.t. casting. 

	59
	30899
	28-07-2009
	ARVIND PLASTICS
	J-16
	UDYOG NAGAR INDUSTRIAL AREA
	RENEWAL
	CTE : Not required
Water Consumption :0.5 KLD
Waste Water generation : 
(a) Domestic effluent: 0.4 KLD
(b) Trade effluent: NIL
Date of Commissioning: 1982
ETP : NA.
STP :  NA. 
Test Report (Water) within limit :  NA.
Test Report (Air) within limit :  NA. 
NMR submitted : NA.(No D.G. Set)
No of Workers: 25
Plot area: 841.31 sqm
	NIL
	Mfg, of PVC Footwear
	 
	Earlier CTO issued twice valid upto09.08.2003 & 09.08.2006.
CTO_R issued valid upto 08.08.2009.
	Recommended for grant of renewal of consent.
	Issue renewal of consent.

	60
	30898
	28-07-2009
	NITIN POLYMERS
	J-15
	UDYOG NAGAR INDUSTRIAL AREA
	OPERATE
	CTE : issued on 15.03.2010
Water Consumption : 0.25 KLD
Waste Water generation : 
(a) Domestic effluent: 0.2 KLD
(b) Trade effluent: nil
Date of Commissioning: sept, 2008
ETP :  N/A 
STP :  N/A. 
Test Report (Water) within limit : NA.
Test Report (Air) within limit : NA. 
NMR submitted : NA.(No DG set)
No of Workers:12
Plot area: 833.85 sqm
	nil
	Mfg. of  all kinds of footwear including leather footwear without tanning
	 
	CTE issued valid upto 14.03.2011
	Recommended for grant of consent to operate.
	Issue consent to operate.

	61
	30896
	28-07-2009
	GUPTA BAKELITE FACTORY
	A-107, GROUP
	WAZIRPUR INDUSTRIAL AREA
	RENEWAL
	CTE : Not applied.
Water Consumption :
Waste Water generation : 
(a) Domestic effluent: 
(b) Trade effluent: 
Date of Commissioning: 
ETP : Yes / No / NA.
STP : Yes / No. 
Test Report (Water) within limit : Yes / No / NA.
Test Report (Air) within limit : Yes / No / NA. 
NMR submitted : Yes / No / NA.
	 
	 
	 
	CTO  granted and valid up to 30.09.2005
	Ask the unit to apply for consent to establish. 
	File be put up administratively. 

	62
	30895
	28-07-2009
	POWER PACKED PRODUCTS
	PLOT NO 210, PHASE-II
	SHAHZADA BAGH INDUSTRIAL AREA
	OPERATE
	CTE : yes
Water Consumption :100lpd
Waste Water generation : 
(a) Domestic effluent: 80lpd
(b) Trade effluent: NIL
Date of Commissioning:1995 
ETP : NA.
STP :  No. 
Test Report (Water) within limit :  NA.
Test Report (Air) within limit :  NA. 
NMR submitted :NA.
	NIL
	Mfg. of exhaust fan, pump and motors.
	 
	CTE issued on 31.03.2004 and valid upto 24.03.2005
CTO applied on 04.08.2006
CTO applied on 28.07.2009
	Recommended for grant of consent to operate without powder coating and painting.
	Issue consent to operate without powder coating and painting.

	63
	30890
	27-07-2009
	RONIKA BRIGHTWAYS
	F-85, PHASE-II
	MAYAPURI INDUSTRIAL AREA
	RENEWAL
	CTE : Not required
Water Consumption : 1.8 KLD
Waste Water generation : 
(a) Domestic effluent: 0.25 KLD
(b) Trade effluent: 1.4 KLD
Date of Commissioning: 1995
ETP : Yes
STP :  NA. 
Test Report (Water) within limit : Yes 
Test Report (Air) within limit : NA. 
NMR submitted :  NA.
No of Workers:6
Plot area: 33.4 sqm
	nil
	electroplating job works
	 
	CTO issued twice valid upto 27.08.2003 for activity of job work of zink plating & 05.08.2006 for activity of electroplating job work.
Applied for renewal of authorization under HWM Rules on 14.07.2010
	Recommended for grant of renewal of consent and authorization under HWM Rules. 
	Issue renewal of consent and authorization under HWM Rules. 

	64
	30887
	27-07-2009
	PATEL OIL MILLS
	F-7
	UDYOG NAGAR INDUSTRIAL AREA
	RENEWAL
	CTE : Not required
Water Consumption :8 KLD
Waste Water generation : 
(a) Domestic effluent: NIL
(b) Trade effluent: 0.50 KLD
Date of Commissioning: June 1985
ETP :  NA 
STP :  NA. 
Test Report (Water) within limit : NA.
Test Report (Air) within limit : Yes . 
NMR submitted : Yes, dated 24.07.2009.(D.G. Set: 625 KVA)
No of Workers:444
Plot area: 1562.83 sqm
	6 KLD
	Allied rubber products
	 
	Earlier CTO issued valid upto 26.07.2006.
CTO_R issued valid upto 26.07.2009.
	Recommended for grant of renewal of consent. Inform to DJB regarding ground water extraction. 
	Inspection be conducted w.r.t. complaint.  Inform to DJB regarding ground water extraction. 

	65
	30884
	27-07-2009
	DEEP PRINTERS
	70-A, RAMA ROAD
	NAJAFGARH ROAD INDUSTRIAL AREA
	OPERATE
	CTE : Issued
Water Consumption :0.03 KLD
Waste Water generation : 
(a) Domestic effluent: 0.02 KLD
(b) Trade effluent: NIL
Date of Commissioning: 2003
ETP :  NA.
STP :  NA 
Test Report (Water) within limit :  NA.
Test Report (Air) within limit : NA. 
NMR submitted :  NA.(No D.G. Set)
Inspection conducted : No
No of Workers: 5
Plot area: 147.14 sqm
	NIL
	offset printing 
	 
	Earlier CTO issued valid upto 05.08.2009 (under green category for the activity printing press without plate making)
CTE issued valid upto 24.12.2003 (under green category for the activity of offset printing without trade effluent discharge)
Authorization under hazardous waste granted on 30.07.2004.Applied for renewal of authorization under HWM on 14.07.2006.
	Recommended for grant of consent to operate. Ask the unit to apply for fresh authorization under HWM Rules. 
	Issue consent to operate. Ask the unit to apply for fresh authorization under HWM Rules. 

	66
	30882
	27-07-2009
	LASA INDUSTRIES
	C-28, DDA SHEDS, PHASE-I
	OKHLA INDUSTRIAL AREA
	RENEWAL
	CTE : Not Required
Water Consumption :200l/d
Waste Water generation : 
(a) Domestic effluent: 200l/d
(b) Trade effluent: NIL
Date of Commissioning:1992 
ETP :  NA.
STP :  No. 
Test Report (Water) within limit :  NA.
Test Report (Air) within limit :  NA. 
NMR submitted :  NA.
	NIL
	Mfg. & Trading of Solder Wire
	 
	1.D.G.Set: NIL
2. G.W: nil
3. HWM:  granted on 06.10.04
4. CTE not required.
5. CTO valid upto 06.01.03  CNO no. 623, Earlier CTR valid upto 27.05.06 CNO no. 7158 & CTR applied on 27.09.06 vd id no 19497.
	Inspection be conducted. 
	Inspection be conducted. 

	67
	30880
	27-07-2009
	GOLA FIVE STAR BANQUET
	B-23/24
	GTK ROAD INDUSTRIAL AREA
	RENEWAL
	CTE : Not applied
Water Consumption :3KLD
Waste Water generation : 
(a) Domestic effluent: 1.3KLD
(b) Trade effluent: 2.8KLD
Date of Commissioning:2000 
ETP : Yes 
STP :  No. 
Test Report (Water) within limit : Yes .
Test Report (Air) within limit : Yes / No / NA. 
NMR submitted : Yes (submitted on 31.05.2009)
	NIL
	Banquet hall with restaurent facility
	 
	CTO  granted and valid up to 24.07.2005
AR of ETP dated April, 2009.
DG set of 125 and 75 KVA with stack ht. 2.5 m
	Ask the unit to apply for consent to establish and submit fresh noise monitoring report in the operational stage of all the D.G. Sets.
	Ask the unit to apply for consent to establish and submit fresh noise monitoring report in the operational stage of all the D.G. Sets.

	68
	30875
	27-07-2009
	ASSOCIATE ENGINEERING
	99, PHASE-II
	BADLI INDUSTRIAL ESTATE
	RENEWAL
	CTE : NOT REQUIRED
Water Consumption : 350L/D
Waste Water generation : 
(a) Domestic effluent:200L/D 
(b) Trade effluent: NIL
Date of Commissioning: 1998
ETP : NA.
STP :  No. 
Test Report (Water) within limit :  NA.
Test Report (Air) within limit : NA. 
NMR submitted : NA.
	NIL
	Mfg. of PVC compound Plastic granules and footwears
	 
	CTO  granted and valid up to 12.04.2005
CTR  granted and valid up to 17.07.2009
	Recommended for grant of renewal of consent.
	Issue renewal of consent.

	69
	30872
	24-07-2009
	HANSA AGENCIES PVT LTD.
	B-124, PHASE-I
	OKHLA INDUSTRIAL AREA
	OPERATE
	CTE : obtained on 11.06.10
Water Consumption : 1.4KLD
Waste Water generation : 
(a) Domestic effluent: 0.6KLD
(b) Trade effluent: 0.4KLD
Date of Commissioning: 
ETP : Yes 
STP :  No. 
Test Report (Water) within limit : Yes 
Test Report (Air) within limit : NA 
NMR submitted : Yes
	NIL
	Mfg.  Of Garments with Washing
	 
	1.D.G.Set: 125 kva & 82.5 KVA, NMR submitted on 08.04.09.
2. G.W: nil
3. HWM:  applied on 27.07.09
4. Applied for CTE (Green) on 15.12.08 which was refused
5. CTE (Orange) issued on 11.06.10
6. ETP installed, adequacy report dt. May 2009 & effluent analysis report dt. 27.04.09.
	Recommended for grant of consent to operate.
	Issue consent to operate.

	70
	30869
	24-07-2009
	AVON PLASTICS
	PLOT NO 308/2
	SHAHZADA BAGH INDUSTRIAL AREA
	RENEWAL
	CTE : Not applicable
Water Consumption :100lpd
Waste Water generation : 
(a) Domestic effluent: 80lpd
(b) Trade effluent: Nil
Date of Commissioning: 2001 
ETP :  NA.
STP :  No. 
Test Report (Water) within limit :  NA.
Test Report (Air) within limit : NA. 
NMR submitted : NA.
	nil
	PVC/Plastic Products
	 
	CTO issued oin 19.05.2003
valid til 24.07.2005.
CTR issued on 11.05.2006 valid til 24.07.2008
CTR applied on 24.07.2009
	Recommended for grant of renewal of consent.
	Issue renewal of consent.

	71
	30868
	24-07-2009
	EAGLE PLASTICS
	PLOT NO 307/1
	SHAHZADA BAGH INDUSTRIAL AREA
	RENEWAL
	CTE : Not applicable
Water Consumption :100lpd
Waste Water generation : 
(a) Domestic effluent: 80lpd
(b) Trade effluent: nil
Date of Commissioning: April, 1980
ETP :  NA.
STP :  No. 
Test Report (Water) within limit : NA.
Test Report (Air) within limit :   NA. 
NMR submitted :  NA.
	nil
	Mfg. of Plastic Goods
	 
	CTR issued on 19.06.2006, valid till 20.09.2005.
CTR applied on 24.07.2009
	Recommended for grant of renewal of consent.
	Issue renewal of consent.

	72
	30865
	24-07-2009
	POLY EVA PRODUCTS
	F-1483, DSIDC
	NARELA INDUSTRIAL AREA
	RENEWAL
	CTE : YES
Water Consumption :200 L/D
Waste Water generation : 
(a) Domestic effluent: 160 L/D
(b) Trade effluent: NIL
Date of Commissioning: 1998
ETP : NA.
STP :  No. 
Test Report (Water) within limit : NA.
Test Report (Air) within limit :  NA. 
NMR submitted: NA.
	200L/D
	Mfg of EVA leather & PVC footwear
	 
	CTE  granted and valid up to 21.12.2005
CTO  granted and valid up to 25.08.2008
	Inspection be conducted to ascertain the activity of Polyurethene. Inform to DJB regarding ground water extraction. 
	Inspection be conducted to ascertain the activity of Polyurethene. Inform to DJB regarding ground water extraction. 

	73
	30858
	24-07-2009
	THAKAR EQUIPMENT COMPANY
	66
	OKHLA INDUSTRIAL ESTATE
	OPERATE
	CTE :  issued on 30.03.09
Water Consumption : 5000 lt/d
Waste Water generation : 
(a) Domestic effluent: nil
(b) Trade effluent: nil
Date of Commissioning: 1964 
ETP : NA.
STP : No. 
Test Report (Water) within limit : Yes / No / NA.
Test Report (Air) within limit : NA. 
NMR submitted : Yes.
	nil
	Mfg. of Custom Built Commercial Kitchen Equipment & Sheet Metal Fabrication in Stainless Steel, Aluminium, Galvanized Iron & Mild Steel
	In CTE (Green): 31.05.08:Ask the unit to apply for consent to establish under Orange category as the unit generates hazardeous waste from the proposed activity.consent to establish application under Green category becomes infructuous in view of the above reason.
13.09.08 :Implement the decision of CMC dt. 31.05.08 for shifting the case to orange category. The renewal application vd id no. 23654 may also be treated as infructuous.
In CTO (Green):18.02.09 : Ask the unit to apply for consen to establish under Orange category & implement the earlier decision for making the consent application under Green category infructuous.
18.12.08 :SIT to inspect & report. Call on 21.01.09.
21.01.09 :Unit may be asked to install dust collection system with the polishing machine. Call on 25.02.09.
25.02.09:Issue consent to establish. Call on 02.04.09.
19.05.09:Inform enquiry counter about refusal of consent.
02.04.09:Ask the unit to apply for consent to operate. call on 12.05.09.
12.06.09:Issue final reminder. call on 05.08.09.
	1.D.G.Set: 35kva, NMR dt. 23.07.09 submitted.
2. G.W: nil
3. HWM:  not applied 
4. CTE issued on 30.03.09 CNO no. 19866
5. CTR( Green) & CTE (Green) cancelled on 08.09.08 vd id no.272 & 25.09.08 vd id no. 12.
Inspection conducted on : 19.01.09 in CTE (Orange) application 
	Inspection be conducted. 
	Issue SCN for refusal of consent and SCN for closure of the unit.

	74
	30854
	24-07-2009
	S.N. GUPTA INDUSTRIES
	H-4
	NANGLOI DSIDC INDUSTRIAL AREA
	RENEWAL
	CTE : N/A
Water Consumption :250 LPD
Waste Water generation : 
(a) Domestic effluent: 200 LPD
(b) Trade effluent: nil
Date of Commissioning: 1990
ETP :  NA.
STP :  NA
Test Report (Water) within limit :  NA.
Test Report (Air) within limit : Yes 
NMR submitted :  NA.
No of Workers:14
Plot area: 200 mtrs
	250 LPD
	Mfg. of finished leather wihtout using water.
	 
	Stack provided to the thermic fluid boiler, SMR submitted dated 18.06.2009
Earleir CTO issued valid upto 25.07.2005
CTO_R issued valid upto 25.07.2008
	Recommended for grant of renewal of consent. Inform to DJB regarding ground water extraction. 
	Inspection be conducted. Inform to DJB regarding ground water extraction. 

	75
	30853
	24-07-2009
	SHYN INDUSTRIES
	A-9
	NARAINA INDUSTRIAL AREA PH-I
	RENEWAL
	CTE : Not required.
Water Consumption : 600 LPD
Waste Water generation : 
(a) Domestic effluent: 100 LPD
(b) Trade effluent: nil
Date of Commissioning: 1979 
ETP : NA
STP : NA
Test Report (Water) within limit : Yes / No / NA.
Test Report (Air) within limit : Yes . 
NMR submitted : datd 20.07.2009, D.G. set of 15 KVA installed 
No of Workers: 8
Plot area: 334 sqm
	 
	Mfg. & trading of home sanitation and textile auxilaries.
	 
	Earleir CTO issued twice valid upto 21.03.2003 & 06.05.2006 for the activity of mfg & trading of chemicals
CTO_R issued valid upto 10.07.2009
	Recommended for grant of renewal of consent.
	Inspection be conducted.

	76
	30848
	23-07-2009
	BRIGHT ELECTROPLATERS
	C-85, PHASE-II
	MAYAPURI INDUSTRIAL AREA
	RENEWAL
	CTE : No
Water Consumption :2.250 KLD
Waste Water generation : 
(a) Domestic effluent: 0.600 KLD
(b) Trade effluent: 1.250 KLD
Date of Commissioning: since 1978
ETP : Yes
STP : NA
Test Report (Water) within limit : Yes
Test Report (Air) within limit : Yes. 
NMR submitted : Yes,dated 14.07.2009 (D.G. Set: 125 KVA)
No of Workers: 31
Plot area: 506 sqm
	2.250 KLD (corporation and ground water)
	Job work of electroplating 
	 
	Earlier CTO issued valid upto 23.07.2006.
Applied for CTO_R on 18.07.2006 vide I.D no. 18822.
Applied for renewal of authorization under HWM Rules on 11.08.2010 vide I.D. no. 0348.
	Recommended for grant of renewal of consent. Ask the unit to apply for fresh authorization under HWM Rules. Inform to DJB regarding ground water extraction. 
	Issue renewal of consent and authorization under HWM Rules. Inform to DJB regarding ground water extraction. 

	77
	30847
	23-07-2009
	SINGHLA TECHNO PLAST
	G-1156, DSIDC
	NARELA INDUSTRIAL AREA
	RENEWAL
	CTE : Not required.
Water Consumption :45 L/D
Waste Water generation : 
(a) Domestic effluent: 10L/D
(b) Trade effluent: NIL
Date of Commissioning: 2002 
ETP :  NA.
STP :  No. 
Test Report (Water) within limit :  NA.
Test Report (Air) within limit : NA. 
NMR submitted : NA.
	45L/D
	Mfg of Plastic moulded goods w/o reprocessing.
	 
	CTO  granted and valid up to 13.08.2005
CTR  granted and valid up to 19.06.2009
	Issue SCN to the unit stating as to why the necessary action should not be initiated under the provision of the law as the unit has submitted the affidavit on the stamp papers purchased in the name of DPCC. Inform to DJB regarding ground water extraction. 
	Issue SCN to the unit stating as to why the necessary action should not be initiated under the provision of the law as the unit has submitted the affidavit on the stamp papers purchased in the name of DPCC. Inform to DJB regarding ground water extraction. 

	78
	30846
	23-07-2009
	KHURANA FURNITURE
	T-2/162, PHASE-I
	MANGOL PURI INDUSTRIAL AREA
	RENEWAL
	CTE : Not required
Water Consumption :170 L/D
Waste Water generation : 
(a) Domestic effluent: 80 L/D
(b) Trade effluent: NIL
Date of Commissioning: 1998 
ETP :  NA.
STP : No. 
Test Report (Water) within limit : NA.
Test Report (Air) within limit : NA. 
NMR submitted : NA.
	170L/D
	Mfg of PVC compound and footwear.
	 
	CTO  granted and valid up to 23.07.2005
CTR granted and valid up to 23.07.2008
	Issue SCN to the unit stating as to why the necessary action should not be initiated under the provision of the law as the unit has submitted the affidavit on the stamp papers purchased in the name of MCD. Inspection may also be conducted. Inform to DJB regarding ground water extraction. 
	Issue SCN for refusal of consent to the unit stating as to why the necessary action should not be initiated under the provision of the law as the unit has submitted the affidavit on the stamp papers purchased in the name of MCD incorporating  incorporating that unit is required to clarify the proper chemical name of the foaming material mentioned in raw material to ascertain the possibility of mfg of polyurethene. Inform to DJB regarding ground water extraction. 

	79
	30845
	23-07-2009
	TEX TWENTY INTERNATIONAL
	PLOT NO 65, PHASE-II
	BADLI INDUSTRIAL ESTATE
	RENEWAL
	CTE : Not required
Water Consumption :220 L/D
Waste Water generation : 
(a) Domestic effluent: 200L/D
(b) Trade effluent: NIL
Date of Commissioning:1999 
ETP : NA.
STP :  No. 
Test Report (Water) within limit :  NA.
Test Report (Air) within limit : NA. 
NMR submitted : NA.
	NIL
	Mfg of panel of stereo deck front side.
	 
	CTO issued on 25.05.2000. CTR  granted and valid up to 25.02.2007
	Recommended for grant of renewal of consent.
	Issue renewal of consent.

	80
	30840
	23-07-2009
	ALFA INDUSTRIES
	K-80
	UDYOG NAGAR INDUSTRIAL AREA
	RENEWAL
	CTE : Not required.
Water Consumption :0.35 KLD
Waste Water generation : 
(a) Domestic effluent: 0.3 KLD
(b) Trade effluent: NIL
Date of Commissioning: 1993
ETP : NA.
STP :  NA. 
Test Report (Water) within limit :  NA.
Test Report (Air) within limit : NA. 
NMR submitted :  NA.(No D.G. Set)
No of Workers: 15
Plot area: 507.77 sqm
	NIL
	Mfg of footwear
	 
	Earlier CTO issued valid upto 23.07.2006. 
CTO_R issued valid upto 23.07.2009
	Recommended for grant of renewal of consent.
	Issue renewal of consent.

	81
	30839
	23-07-2009
	VIKAS INDUSTRIES
	J-32
	UDYOG NAGAR INDUSTRIAL AREA
	RENEWAL
	CTE : Not required. 
Water Consumption :0.16 KLD
Waste Water generation : 
(a) Domestic effluent: 0.13 KLD
(b) Trade effluent: NIL
Date of Commissioning: 1993
ETP : NA.
STP :  NA
Test Report (Water) within limit :  NA.
Test Report (Air) within limit :  NA. 
NMR submitted :  NA.(No D.G. Set)
No of Workers: 8
Plot area: 803.62 sqm
	NIL
	Mfg. of all kinds of footwear
	 
	Earlier CTO issued valid upto 30.04.2003.
CTO_R issued valid upto 12.06.2009.
	Recommended for grant of renewal of consent.
	Issue renewal of consent.

	82
	30838
	23-07-2009
	NITIN POLYMERS
	L-12
	UDYOG NAGAR INDUSTRIAL AREA
	RENEWAL
	CTE : Not required.
Water Consumption :0.3 KLD
Waste Water generation : 
(a) Domestic effluent: 0.25 KLD
(b) Trade effluent: nil
Date of Commissioning: 1997
ETP :  NA.
STP :  NA
Test Report (Water) within limit : NA.
Test Report (Air) within limit :NA. 
NMR submitted : NA.(No D.G. Set)
No of Workers:13
Plot area: 349.25
	NIL
	Mfg. of PVC sports Footwear & Leather footwear
	Earlier CTO issued twice valid upto 11.06.2003 & 11.06.2006.
CTO_R issued valid upto 11.06.2009.
	 
	Recommended for grant of renewal of consent.
	Issue renewal of consent.

	83
	30837
	23-07-2009
	ARVIND POLYMERS
	K-77
	UDYOG NAGAR INDUSTRIAL AREA
	RENEWAL
	CTE : Not required.
Water Consumption :0.3 KLD
Waste Water generation : 
(a) Domestic effluent: 0.24 KLD
(b) Trade effluent:NIL
Date of Commissioning: 1995
ETP :  NA.
STP : NA 
Test Report (Water) within limit : NA.
Test Report (Air) within limit :  NA. 
NMR submitted :  NA.(No D.G. Set)
No of Workers:15
Plot area: 506.75 sqm
	nil
	Mfg. of PVC footwear
	 
	Earlier CTO issued valid upto 19.07.2006.
CTO_R issued valid upto 19.07.2009.
	Recommended for grant of renewal of consent.
	Issue renewal of consent.

	84
	30836
	23-07-2009
	AYUSH POLYWERS (PVT.) LTD.
	K-77
	UDYOG NAGAR INDUSTRIAL AREA
	RENEWAL
	CTE : Not required.
Water Consumption :0.4 KLD
Waste Water generation : 
(a) Domestic effluent: 0.32 KLD
(b) Trade effluent: nil
Date of Commissioning: 1996
ETP :  NA.
STP :  NA. 
Test Report (Water) within limit : NA.
Test Report (Air) within limit :  
NMR submitted :  NA.
No of Workers:22
Plot area: 506.72 sqm
	nil
	Mfg. of footear
	 
	Earlier CTO issued twice valid upto 10.03.2000 & 07.08.2006
CTO_R issued valid upto 06.08.2009
	Recommended for grant of renewal of consent.
	Issue renewal of consent.

	85
	30831
	22-07-2009
	JINDAL ENTERPRISES
	F-1692, DSIDC
	NARELA INDUSTRIAL AREA
	RENEWAL
	CTE : YES
Water Consumption :15L/D
Waste Water generation : 
(a) Domestic effluent: 10L/D
(b) Trade effluent: NIL
Date of Commissioning: 2002
ETP : NA.
STP : No. 
Test Report (Water) within limit : NA.
Test Report (Air) within limit : NA. 
NMR submitted :  NA.
	15L/D
	Mfg of PVC dana and moilded products w/o reprocessing.
	 
	CTE  granted and valid up to 30.09.2003.
CTO  granted and valid up to 26.05.2006
CTR  granted and valid up to 13.07.2009
	Issue SCN to the unit stating as to why the necessary action should not be initiated under the provision of the law as the unit has submitted the affidavit on the stamp papers purchased in the name of DPCC. Inform to DJB regarding ground water extraction. 
	Issue SCN for refusal of consent to the unit stating as to why the necessary action should not be initiated under the provision of the law as the unit has submitted the affidavit on the stamp papers purchased in the name of DPCC  incorporating that unit is required to clarify the proper chemical name of the foaming material mentioned in raw material to ascertain the possibility of mfg of polyurethene. Inform to DJB regarding ground water extraction. 

	86
	30830
	22-07-2009
	GOEL PLASTIC
	PLOT NO 28, SECTOR-5, POCKET-B, DSIDC
	BAWANA INDUSTRIAL AREA
	OPERATE
	CTE : yes
Water Consumption :25lpd
Waste Water generation : 
(a) Domestic effluent:15 lpd 
(b) Trade effluent: Nil
Date of Commissioning: Nov 2006
ETP : NA.
STP :  No. 
Test Report (Water) within limit :  NA.
Test Report (Air) within limit :  NA. 
NMR submitted : NA.
	nil
	plastic packing materials(pplastic disposable products)
	 
	CTE issued on 18.08.2005 and valid upto 17.08.2006
CTO applied on 17.08.2006
CTO applied on 22.07.2009
	Recommended for grant of consent to operate.
	Issue consent to operate.

	87
	30826
	22-07-2009
	SHRI SUDERSHAN ENTERPRISES
	B-31/1, GROUP
	WAZIRPUR INDUSTRIAL AREA
	RENEWAL
	CTE : NOT APPLIED
Water Consumption :180 L/D
Waste Water generation : 
(a) Domestic effluent:150  L/D
(b) Trade effluent: NIL
Date of Commissioning: 1972
ETP :  NA.
STP :  NO 
Test Report (Water) within limit :  NA.
Test Report (Air) within limit : NO
NMR submitted : Yes 
	 NIL
	cold re-rolling without pickling
	 
	CTR  granted and valid up to 25.06.2009
DG set of 220 KVA 
NMR submitted on July 2009
	Issue SCN to the unit stating as to why the necessary action should not be initiated under the provision of the law as the unit has submitted the affidavit on the stamp papers purchased in the name of DPCC. 
	Issue SCN to the unit stating as to why the necessary action should not be initiated under the provision of the law as the unit has submitted the affidavit on the stamp papers purchased in the name of DPCC. 

	88
	30825
	22-07-2009
	MECHANICAL COCKS & VALVES (INDIA)
	Y-21, PHASE-II
	OKHLA INDUSTRIAL AREA
	RENEWAL
	CTE : not required
Water Consumption :700lt/d
Waste Water generation : 
(a) Domestic effluent: 600lt/d
(b) Trade effluent: Nil
Date of Commissioning:April 1980
ETP :  NA.
STP :  No. 
Test Report (Water) within limit : Yes / No / NA.
Test Report (Air) within limit : Yes / No / NA. 
NMR submitted : Yes.
	Nil
	Mfg. of Brass components (Without washing) 
	 
	1.D.G. Set-62.5KVA. & NMR submitted dated 27.05.09.
2. G.W-Nil.
3.HWM- not applied 
4.CTO(Orange)  granted CNO.9599 valid upto 08.05.06.
5.CTR(Orange) granted CNO 15010 valid upto 08.05.09. 
6 ECS submitted dated May 2009  . 
7. SMR  submitted  dated 20.05.09
8.CTE not required.
	Inspection be conducted to check the type of furnace.
	Inspection be conducted to check the type of furnace.

	89
	30818
	22-07-2009
	DHARAMPAL SATYAPAL LTD.
	98, PHASE-III
	OKHLA INDUSTRIAL ESTATE
	OPERATE
	CTE : issued on 04.06.2010
Water Consumption : 1000lt/day
Waste Water generation : 
(a) Domestic effluent: 1000lt(on application & 750lt/day on affidavit)
(b) Trade effluent: Nil
Date of Commissioning: 2003
ETP :  NA.
STP :  No. 
Test Report (Water) within limit : Yes / No / NA.
Test Report (Air) within limit : Yes / No / NA. 
NMR submitted : Yes
	Nil
	Mixing of Perfumes, Herbs, Aromatic spices.
	 
	1.D.G. Set-125KVA. NMR submitted dated 25.05.09 .
2. G.W-Nil. 
3.HWM- not applied 
4.CTO(Green)  valid upto 06.08.08 CNO.8216  .
5.CTE(Orange)  valid upto 04.06.10 CNO 23990 . 
	Recommended for grant of consent to operate.
	Issue consent to operate.

	90
	30815
	22-07-2009
	EMSONS RADIO CORPORATION
	B-218, PHASE-I
	OKHLA INDUSTRIAL AREA
	RENEWAL
	CTE : Not Required
Water Consumption :2.5KLD
Waste Water generation : 
(a) Domestic effluent: 800 L/d
(b) Trade effluent: 1.5KLD
Date of Commissioning: 1987
ETP : Yes
STP : No. 
Test Report (Water) within limit : Yes 
Test Report (Air) within limit : NA 
NMR submitted : Yes
	NIL
	Mfg of Electronic Components i.e. Various Types of Antennas including Electroplating
	 
	1.D.G.Set: 125 kva, NMR submitted on 18.04.09.
2. G.W: nil
3. HWM: applied on 22.07.09
4. CTE not required.
5. CTO valid upto 23.03.06 CNO no. 9143 & CTR valid upto 16.05.09 CNO no. 15011
6. ETP installed, adequacy report dt. May 2009 & effluent analysis report dt. 27.04.09.
7. NMR submitted on 18.04.09
	Recommended for grant of renewal of consent.
	Issue renewal of consent.

	91
	30812
	22-07-2009
	B K POLYMERS
	A-12/4
	NARAINA INDUSTRIAL AREA PH-I
	RENEWAL
	CTE : not required.
Water Consumption :0.20 KLD
Waste Water generation : 
(a) Domestic effluent: 0.1 KLD
(b) Trade effluent: NIL
Date of Commissioning: 1994
ETP : NA 
STP :  NA
Test Report (Water) within limit :  NA.
Test Report (Air) within limit :  NA. 
NMR submitted : NA.
No of Workers: 7
Plot area: 400 sqm
	NIL
	Polythene film (80 micron to 200 micron)
	Decision on 22.04.2009
Inspection be expedited. Call on 22.04.2009
	Earlier CTO issued twice valid upto 06.08.2006
Inspection conducted on 28.05.2009
	Recommended for grant of renewal of consent.
	Issue renewal of consent.

	92
	30809
	22-07-2009
	D.B. ENTERPRISES
	7/26
	KIRTI NAGAR INDUSTRIAL AREA
	OPERATE
	CTE : Applied on 19.06.2008 
Water Consumption :
Waste Water generation : 600 LPD
(a) Domestic effluent: 0.15 KLD
(b) Trade effluent: 0.35 KLD
Date of Commissioning: 2009
ETP : Yes
STP :  NA 
Test Report (Water) within limit : Yes 
Test Report (Air) within limit :  NA. 
NMR submitted :  NA.
No of Workers:9
Plot area: 250 sqm
	400 LPD
	Mfg. of blades and other parts of domestic mixer grinder with electro polishing
	Decision on 12.02.2010/15.02.2010
Inspection be conducted to know the polshing activity.
	Applied for authorization under HWM rules on 22.07.2009
Inspection conducted on 11.05.2010
	Recommended for grant of consent to operate and consent to establish. Ask the unit to apply for fresh authorization under HWM Rules. Inform to DJB regarding ground water extraction. 
	Issue consent to operate and consent to establish with the condition that the unit will comply with the provisions of The Delhi Degradable Plastic Bag Act, 2000 envisaging the minimum thickness of plastic bag as 40 micron and size as 8" x 12". Ask the unit to apply for fresh authorization under HWM Rules. Inform to DJB regarding ground water extraction. 

	93
	30801
	21-07-2009
	A.S. INDUSTRIES
	B-2417, DSIDC
	NARELA INDUSTRIAL AREA
	OPERATE
	CTE : YES
Water Consumption : 1KLD
Waste Water generation : 
(a) Domestic effluent: 200 L/D
(b) Trade effluent: 500 L/D
Date of Commissioning: 2007
ETP : Yes .
STP :  No. 
Test Report (Water) within limit : Yes 
Test Report (Air) within limit : Yes 
NMR submitted :  NA.
	1KLD
	Anodising, powder coating and buffing.
	 
	CTE  granted and valid up to 25.11.2010
AR of ETP and ECS submitted on April 2009
Stack monitoring report of APCS submitted on 21.04.2009.
	Ask the unit to apply for authorization under HWM Rules. Inform to DJB regarding ground water extraction. 
	Ask the unit to apply for authorization under HWM Rules. Inform to DJB regarding ground water extraction. 

	94
	30800
	21-07-2009
	NIRMAL PLASTIC
	A-53
	NARAINA INDUSTRIAL AREA PH-I
	RENEWAL
	CTE : Issued valid upto 18.06.2011
Water Consumption :50 LPD
Waste Water generation : 
(a) Domestic effluent: 40 LPD
(b) Trade effluent: NIL
Date of Commissioning: 1977
ETP :  NA.
STP :  NA 
Test Report (Water) within limit :  NA.
Test Report (Air) within limit :  NA. 
NMR submitted :  NA.(No D.G. Set)
Inspection conducted  : No
No of Workers : 7
Plot area: 4000 sqm
	NIL
	PVC Footwear
	 
	Earlier CTO issued twice valid upto05.04.2003 & 10.08.2006.
CTO_R issued valid upto 29.08.2009.
	Recommended for grant of renewal of consent.
	Issue renewal of consent.

	95
	30787
	20-07-2009
	SHRI KARNI PLASTIC INDUSTRIES
	SHED NO 2, DSIDC, SCHEME-I, PHASE-II
	OKHLA INDUSTRIAL AREA
	RENEWAL
	CTE : not required.
Water Consumption : 200 lt/d
Waste Water generation : 
(a) Domestic effluent: 100 lt/d
(b) Trade effluent: nil
Date of Commissioning: 1991 
ETP : NA.
STP : No. 
Test Report (Water) within limit : NA.
Test Report (Air) within limit : NA. 
NMR submitted : Yes
	nil
	PVC Rigid Film & Tubes
	 
	1.D.G.Set:125 kva & 120 kva, NMR of D.G.Set 100 kva & 125 kva dt. 23.07.09 submitted.
2. G.W: nil
3. HWM:  not applied 
4. CTE not required.
5. CTO valid upto 12.06.06 CNO no.5775. Earlier CTR valid upto 16.07.09 CNO no.16695. 
	Recommended for grant of renewal of consent.
	Issue renewal of consent.

	96
	30784
	20-07-2009
	POWDER COATERS
	B-197, PHASE-I
	OKHLA INDUSTRIAL AREA
	OPERATE
	CTE : granted on 08.12.09.
Water Consumption : 700 lt/d on application form & 0.7 kl/yr on affidavit.
Waste Water generation : 
(a) Domestic effluent: 200 lt/d on application form & 0.2 kl/yr on affidavit.
(b) Trade effluent: 500 lt/d.
Date of Commissioning: 20.04.08
ETP : Yes 
STP : NA
Test Report (Water) within limit : Yes
Test Report (Air) within limit : NA 
NMR submitted : Yes
	 
	Powder Coating
	(In CTE application)
13.11.09
Issue Consent to Establish. Subsequently, inspection be conducted.

12.02.2010 / 15.02.2010
Issue SCN u/s 5 of EPA and SCN u/s 31(A) of the Air Act based on findings of inspection.

26.05.10
Decision taken on file to provide adequate stack height with working D.G. Set and to remove the non working D.G. Set and to submit the Bank Guarantee of Rs 50,000 each under Air Act and HWM Rules valid for one year ratified.
	1.D.G.Set: 62.5 kva, NMR submitted on 01.05.09.
2. G.W: nil
3. HWM: applied.
4. CTE issued on 08.12.09.
5. CTO applied on 28.04.04 vd id no. 10437.
6. Two ECS installed, SMRs submitted on 11.06.09.
7. ETP installed, adequacy report dt. July 2009 & effluent analysis report dt. 22.06.09.

unit has submitted BG on 09.06.10.
	Recommended for grant of consent to operate.
	Issue consent to operate.

	97
	30771
	20-07-2009
	CHOPRA SONS
	B-73
	GTK ROAD INDUSTRIAL AREA
	OPERATE
	CTE : YES
Water Consumption :2KLD
Waste Water generation : 
(a) Domestic effluent: 450L/D
(b) Trade effluent: 1.5KLD
Date of Commissioning: Sep,2007
ETP : Yes
STP : No
Test Report (Water) within limit : Yes 
Test Report (Air) within limit :  NA. 
NMR submitted :  NA.
	Appox. 2 kld
	Car Service Station
	20.03.09-Ask the unit to apply for auth.under HWM rules,file permission for CGWA for extracting ground water and affidavit for installation of ETP and non-installation of DG set 
11.05.09- Issue reminder for full compliance of earlier CMC decision, with decsiion to seek permission for ground water extraction from DJB.
24.06.09-Ask the unit to file the compliance within one montH.
05.10.2009-Issue consent to establish. Subsequently, inspection be conducted.
	CTE  granted and valid up to 18.11.2010
AR of ECS submitted on Jul,2009
Applied for Auth. on 20.07.2009
Inspection conducted on 12.07.2010
	Recommended for grant of consent to operate. Ask the unit to apply for fresh authorization under HWM Rules. Inform to DJB regarding ground water extraction. 
	Issue consent to operate. Ask the unit to apply for fresh authorization under HWM Rules. Inform to DJB regarding ground water extraction. 

	98
	30770
	20-07-2009
	CHINTAMANI FOOD & SNACKS (PVT.) LTD. (UNIT-I)
	A-57
	JHILMIL INDUSTRIAL AREA
	RENEWAL
	CTE : No
Water Consumption :300 lits/day
Waste Water generation : 
(a) Domestic effluent: 200 lits/ day.
(b) Trade effluent: nil
Date of Commissioning: Sept 2002 (existing). 
ETP : O/G Trap Provided. .
STP : Not provided.. 
Test Report (Water) within limit :  Not submitted.
Test Report (Air) within limit :  Not submitted.
NMR submitted :  NA.
	Nil
	Mfg of Food& Snaks Viz. Alu Bhujia, Bikaner Bhujia, mung dal, Khatta mitha, Nav Rattan, Corn Flake, Mixture Tasty, Bhel puri, Bhava Nagar, Ratan Sev, sathia, sweets etc.
	 
	CTO granted, valid upto 20.08.2005.
CTO granted, valid upto 16.06.2006.
CTR granted, valid upto 16.06.2009.
	Recommended for grant of renewal of consent.
	Inspection be conducted for ascertaining the production capacity.

	99
	30768
	20-07-2009
	SUPER INDUSTRIES
	M-43, SECTOR-1, DSIDC
	BAWANA INDUSTRIAL AREA
	OPERATE
	CTE : yes
Water Consumption :100lpd
Waste Water generation : 
(a) Domestic effluent: 50lpd
(b) Trade effluent: nil
Date of Commissioning: 2005
ETP : NA.
STP :  No. 
Test Report (Water) within limit :  NA.
Test Report (Air) within limit :  NA. 
NMR submitted : NA
	100lpd(as per affidavit)
	Mfg. of Rubber Goods & Plastic Goods.
	 
	CTE issued on 21.09.2005 valid til 20.09.2006
CTO applied on 21.07.2006
CTO applied on 20.07.2009
	Inspection be conducted. Inform to DJB regarding ground water extraction. 
	Inspection be conducted for air emission aspects. Inform to DJB regarding ground water extraction. 

	100
	30760
	17-07-2009
	SHEETAL ENTERPRISES (UNIT-2)
	A-124, GROUP
	WAZIRPUR INDUSTRIAL AREA
	OPERATE
	CTE : YES
Water Consumption : 50 L/D
Waste Water generation : 
(a) Domestic effluent: NIL
(b) Trade effluent: NIL
Date of Commissioning: 2008
ETP :  NA.
STP :  No. 
Test Report (Water) within limit :  NA.
Test Report (Air) within limit :  NA. 
NMR submitted :  NA.
	NIL
	Buffing
	30.03.2009 -Ask the unit to submit SSI registration for both the units.
28.05.2009 - Issue CTE
22.06.2009 - Put up in next CMC 
27.11.2009 - Issue renewal of consent
	CTE  granted and valid up to 05.07.2010
AR of ECS submitted on feb,2009
	Recommended for grant of consent to operate.
	Issue consent to operate.

	101
	30757
	17-07-2009
	SHAMA INTERNATIONAL PVT. LTD.
	C-119, PHASE-I
	OKHLA INDUSTRIAL AREA
	RENEWAL
	CTE : not required.
Water Consumption : 1000 lt/d
Waste Water generation : 
(a) Domestic effluent: 400 lt/d
(b) Trade effluent: nil
Date of Commissioning: 1994 
ETP : NA.
STP : No. 
Test Report (Water) within limit : NA.
Test Report (Air) within limit : NA. 
NMR submitted : Yes 
	nil
	Mfg. of Readymade garments w/o washing
	 
	1.D.G.Set: 125 kva, NMR submitted on 17.03.09.
2. G.W: nil
3. HWM:  not applied 
4. CTE not required.
5. CTO valid upto 24.07.05 Consent no. 11572 & CTR valid upto 16.02.09 CNO no. 17209.
	Recommended for grant of renewal of consent.
	Inspection be conducted for washing and boiler.

	102
	30748
	16-07-2009
	KRISHNA ELECTROPLATING WORKS (KRISHAN LAL)
	C-81, PHASE-II
	MAYAPURI INDUSTRIAL AREA
	RENEWAL
	CTE : not required.
Water Consumption :1.400 KLD
Waste Water generation : 
(a) Domestic effluent: 0.250 KLD
(b) Trade effluent: 1.400 KLD
Date of Commissioning: since 1979
ETP : Yes
STP : NA 
Test Report (Water) within limit : Yes.
Test Report (Air) within limit :  NA. 
NMR submitted : NA.(No D.G. Set)
No of Workers: 6
Plot area: 250 sqm
	1.8 KLD
	Electroplating Job Works
	Decision on 20.03.2009
Ask the unit to apply for consent to establish, authorization under HWM Rules, submit permission from Central Ground Water Authority for extracting the ground water and adequancy report of ETP from any of the empanelled consultants of DPCC. Call on 29.04.2009.
	Earlier CTO issued valid upto 05.08.2006.
Applied for CTR on 11.07.2006 vide I.D. no. 18746.
Applied for renewal of authorization on 14.07.2010 vide I.D. no.0261
Authorization under hazardous waste granted on 15.07.2004
	Recommended for grant of renewal of consent with the condition to submit the fresh test report for the treated effluent including the temperature and authorization under HWM Rules. Inform to DJB regarding ground water extraction. 
	Fresh auhtorization applied on 14.07.2010. Issue renewal of consent and authorization under HWM Rules. Inform to DJB regarding ground water extraction. 

	103
	30747
	16-07-2009
	METAL COADING
	A-34, PHASE-II
	MAYAPURI INDUSTRIAL AREA
	RENEWAL
	CTE : not required.
Water Consumption :1.800 KLD
Waste Water generation : 
(a) Domestic effluent: 0.250 KLD
(b) Trade effluent: 1.400 KLD
Date of Commissioning: since 1979
ETP : Yes 
STP :  NA 
Test Report (Water) within limit : Yes 
Test Report (Air) within limit :  NA. 
NMR submitted : NA.(No D.G. Set)
No of Workers: 7
Plot area: 198 sqm
	1.800 KLD
	Electroplating Job Works
	 
	Earlier CTO issued valid upto 16.07.2006.
Applied for CTR on 11.07.2006 vide I.D. no.18748.
Applied for renewal of authorization under HWM Rules on 16.07.2009.
	Recommended for grant of renewal of consent with the condition to submit the fresh test report for the treated effluent including the temperature. Ask the unit to apply for fresh authorization under HWM Rules.  Inform to DJB regarding ground water extraction. 
	Issue renewal of consent. Ask the unit to apply for fresh authorization under HWM Rules.  Inform to DJB regarding ground water extraction. 

	104
	30746
	16-07-2009
	KRISHNA ELECTROPLATING WORKS (SOM DUTT)
	C-81, PHASE-II
	MAYAPURI INDUSTRIAL AREA
	RENEWAL
	CTE : not required.
Water Consumption :1.8 KLD
Waste Water generation : 
(a) Domestic effluent: 0.240 KLD
(b) Trade effluent:1.4 KLD 
Date of Commissioning: since 1979
ETP :  NA.
STP :  NA
Test Report (Water) within limit : Yes
Test Report (Air) within limit :  NA. 
NMR submitted :  NA.(No D.G. Set)
No of Workers: 6
Plot area: 250
	1.8 KLD
	Electroplating Job Works
	 
	Earlier CTO issued valid upto 16.07.2006.
Applied for CTR on 11.07.2006 vide I.D. no.18747.
Applied for renewal of authorization on 14.07.2010 vide I.D. no.0258.
Authorization under hazardous waste granted on 15.07.2004.
	Recommended for grant of renewal of consent with the condition to submit the fresh test report for the treated effluent including the temperature and authorization under HWM Rules. Inform to DJB regarding ground water extraction. 
	Fresh auhtorization applied on 14.07.2010. Issue renewal of consent and authorization under HWM Rules. Inform to DJB regarding ground water extraction. 

	105
	30745
	16-07-2009
	RESTLESS ELECTROPLATERS
	B-256
	NARAINA INDUSTRIAL AREA PH-I
	RENEWAL
	CTE : Not required. 
Water Consumption :0.320 KLD 
Waste Water generation : 
(a) Domestic effluent: 0.120 KLD
(b) Trade effluent: 0.150 KLD
Date of Commissioning: since 1984
ETP : Yes 
STP :  NA 
Test Report (Water) within limit : Yes
Test Report (Air) within limit :  NA. 
NMR submitted : NA.(No D.G. Set)
No of Workers: 8
Plot area: 9059 sqm 
	0.320 KLD
	Electroplating Job Works
	 
	Earlier CTO issued twice valid upto16.08.2003 & 21.07.2006.
Applied for CTR on 14.07.2006 vide I.D. no.18785.
Applied for renewal of authorization under HWM Rules on 16.07.2009
	Recommended for grant of renewal of consent with the condition to submit the fresh test report for the treated effluent including the temperature. Ask the unit to apply for fresh authorization under HWM Rules.  Inform to DJB regarding ground water extraction. 
	Issue renewal of consent. Ask the unit to apply for fresh authorization under HWM Rules.  Inform to DJB regarding ground water extraction. 

	106
	30728
	15-07-2009
	SATISH GUPTA
	A-1 (BACK SIDE), GROUP
	WAZIRPUR INDUSTRIAL AREA
	OPERATE
	CTE : YES
Water Consumption :10 L/D
Waste Water generation : 
(a) Domestic effluent: NIL
(b) Trade effluent: NIL
Date of Commissioning: 2008
ETP : NA.
STP : No. 
Test Report (Water) within limit :  NA.
Test Report (Air) within limit : Y NA. 
NMR submitted : NA
	NIL
	Mfg of plastic moulded products
	28.05.2009-Ask the unit unit to apply for CTO.
	CTE  granted and valid up to 14.04.2010
	Recommended for grant of consent to operate.
	Issue consent to operate.

	107
	30715
	15-07-2009
	UTTAM TOYOTA
	95, FIE
	PATPARGANJ INDUSTRIAL AREA
	OPERATE
	CTE : Yes
Water Consumption :2000 lits/day.
Waste Water generation : 
(a) Domestic effluent: 250 lits/day
(b) Trade effluent: 1500 lits/day
Date of Commissioning: 2005 (existing)
ETP : Yes 
STP :  No. 
Test Report & A/R (Water) within limit : Yes 
Test Report (Air) within limit :  NA. 
NMR submitted : Yes (10.07.2009.
	2000 litres per day.
	Sales and Servicing of the motor vehicles.Approx 8 vehicles per day.
	12.05.2010.
issue CTE ask the unit to apply for authorisation under HWM Rules.
	CTE granted, valid upto03.06.2011.
Applied for CTO on 08.06.2005.
DG set:82.5 KV
HWM applied 15.07.2009.
	Recommended for grant of consent to operate. Ask the unit to apply for fresh authorization under HWM Rules. Inform to DJB regarding ground water extraction. 
	Issue  consent to operate. Ask the unit to apply for fresh authorization under HWM Rules. Inform to DJB regarding ground water extraction. 

	108
	30714
	15-07-2009
	SITA FINE ARTS PVT. LTD.
	A-22, PHASE-II
	NARAINA INDUSTRIAL AREA PH-I
	RENEWAL
	CTE : not apply
Water Consumption :300 LPD
Waste Water generation : 
(a) Domestic effluent: 200 LPD
(b) Trade effluent: NIL
Date of Commissioning: 04.2004
ETP : NA.
STP :  NA 
Test Report (Water) within limit : NA.
Test Report (Air) within limit : NA. 
NMR submitted :  NA.(No D.G. Set)
No of Workers: 30
Plot area: 370 sqm
	300 LPD
	Printing press
	 
	Earlier CTO issued valid upto 20.07.2009.
Applied for authorization under hazardous waste on 05.07.2010 vide I.D. no.0238.
	Ask the unit to apply for consent to establish. Inform to DJB regarding ground water extraction. 
	Ask the unit to apply for consent to establish. Inform to DJB regarding ground water extraction. 

	109
	30713
	15-07-2009
	ROLLERACT PRESS SERVICES
	C-163, PHASE-I
	NARAINA INDUSTRIAL AREA PH-I
	RENEWAL
	CTE : not apply
Water Consumption :300 LPD
Waste Water generation : 
(a) Domestic effluent: 200 LPD
(b) Trade effluent: NIL
Date of Commissioning: 2004
ETP : NA.
STP :  NA 
Test Report (Water) within limit :  NA.
Test Report (Air) within limit :NA. 
NMR submitted :  NA.(No D.G.Set)
No of Workers: 14
Plot area:  280 sqm
	300 LPD
	Printing press
	 
	Earlier CTO issued valid upto 18.07.2009.
Applied for renewal of authorization under HWM Rules on 11.10.2006.
	Ask the unit to apply for consent to establish and fresh authorization under HWM Rules. Inform to DJB regarding ground water extraction. 
	Ask the unit to apply for consent to establish and fresh authorization under HWM Rules. Inform to DJB regarding ground water extraction. 


