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Subject:- Minutes of the 174™ meeting of the committee constituted to
grant/ renew / revoke the consent (Orange) under the Water (Prevention &

Control of Pollution) Act, 1974 & Air (Prevention & Control of Pollution) Act,
1981 held on 11.11.2011.

Please find enclosed herewith the minutes of 174" meeting of the
committee, constituted to grant / renew /revoke the consent (orange) under
the Water (Prevention & Control of Pollution) Act, 1974 & Air (Prevention &

Control of Pollution) Act, 1981, held on 11.11.2011 in the conference room
of Chairman, DPCC.

The recommendations of the Consent Management Committee

(Orange) as per above said minutes have been approved by Chairman,
DPCC.

Sr. Environmental Engineer
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Copy for information to:

 In-charge, Computer Cell: for placing the aforementioned minutes
of the committee on the Website of DPCC and to take necessary
action w.r.t table agenda item no 2.
2. AEE, Enquiry Counter





Minutes of the 174th meeting of the Committee Constituted for Deciding the Consent under Orange Category, held on 11.11.2011 in the Conference Room of Chairman, DPCC.

   The following persons attended the meeting:

Sh. Keshav Chandra, Chairman, DPCC

Sh. Sandeep Mishra, Member Secretary, DPCC

Prof. S. K. Gupta, IIT-Delhi

Sh. B. Kumar, Addl. Director, DPCC.

SEEs of CMC – I, II, & IV.


EEs of CMC – I, II, III & IV.


Sh. M. Dwarakanth, SSO, Dept. of Env., GNCTD could not attend the meeting. 

Following are the minutes of the meeting:- 

Agenda Item No. 1 :  Consent to Operate(Renewal)  cases under Orange category   of  redevelopment areas from 12.08.2009 to 22.03.2011, considered by Scrutinizing Committee on 09.09.2011/ 12.09.2011(70 cases). 

This agenda could not be taken up by the Committee, due to paucity of time, and it was decided to take up the same in the next meeting.

Agenda Item No. 2 : Cases in which closure directions u/s 31(A) of the Air Act/ 33(A) of the Water Act / 5 of EPA are in force, considered by Scrutinizing Committee on 22.09.2011/ 23.09.2011 / 26.09.2011 (93 cases).

Decisions recommended with respect to this agenda are tabulated and annexed as Annexure – 1. 

Agenda Item No. 3 : Inspection cases in compliance of earlier CMC's decisions, considered by Scrutinizing Committee on 22.09.2011/ 23.09.2011 / 26.09.2011 (39 cases).

This agenda could not be taken up by the Committee, due to paucity of time, and it was decided to take up the same in the next meeting.

Agenda Item No 4: Table Agenda Item No. 1 w.r.t. status of the cases of Udyog Nagar Indl. Area  in which action was taken in pursuance of the complaint received Sh. Ramesh Kumar, Member of Parliament, considered by Scrutinizing Committee on 22.09.2011/ 23.09.2011 / 26.09.2011 (35 cases). 

This agenda could not be taken up by the Committee, due to paucity of time, and it was decided to take up the same in the next meeting.

Agenda Item No. 5-  Fresh Consent to Operate / Renewal cases under Orange category  w.e.f. 04.06.2011 excluding the cases of  redevelopment areas, considered online by Scrutinizing Committee on 17.10.2011 (30cases). 

This agenda could not be taken up by the Committee, due to paucity of time, and it was decided to take up the same in the next meeting.

Agenda Item No. 6-  Special reference case considered by Scrutinizing Committee on 17.10.2011 (01 case). 

This agenda could not be taken up by the Committee, due to paucity of time, and it was decided to take up the same in the next meeting.

Table Agenda Item No 1: It was decided in the committee that in future, all the closure directions be endorsed to the concerned SDM also for effective closure of the unit. Further, it was also decided that consent to operate and renewal be processed for refusal simultaneously while issuing closure directions. 
Table Agenda Item No 2: The IT Cell may take necessary action for the cases in which the closure directions have been issued should be distinguished in the data base by making a conspicuous colour code in one of the unique field in the software and similarly the cases of the units, which the ETP or ECS or ETP & ECS have been installed should be kept in the data base by making the provision exclusively for fetching such data at one go.  
Table Agenda Item No 3:  M/s MGF Automobiles Ltd., 38/1/2, Rama Road, Najafgarh Road Industrial Area, New Delhi

Issue consent to establish along with the consent to operate already decided in CMC (Orange) meeting dated 07.09.2011. 

Meeting ended with thanks to the chair. 
	Sl. No
	I.D. No
	appl_dt
	Industry Name
	Industry Address
	Industrial Area
	Category
	Activitiy / Product
	Consent / Authorization Status
	Earlier Committee Decision
	Remarks / Action Taken / ATR
	Recommendations of Scrutinizing Committee on 22.09.2011 / 23.09.2011 / 26.09.2011
	Decision recommended by CMC(Orange) on 11.11.2011

	1
	 
	 
	PARVEEN KUMAR
	A-7, GROUP IST FLOOR
	WAZIRPUR INDL AREA
	 
	Buffing ods S.S. Utensils
	 
	 
	(1) Inspection details: Inspection of the unit was conducted on 28.10.2010.
Observations:
1. Unit is engaged in the activity of buffing of S.S. utensils.
2. No ECS provided to channelize the trade emmisions genmerated from buffing activity.
3. Fugitive emissions observed.
(2) SCN u/s 31(A) details : Issued on 28.12.2010.
Reply has not been received.
(3) Closure directions  u/s 31(A) details : Issued on 16.03.2011.
Reply has not been received.
	Ask the compliance from discom  & DJB and also ask the SDM for effective closure of the unit. 
	Ask the compliance from discom  & DJB and also ask the SDM for effective closure of the unit. 

	2
	 
	 
	NARESH GUPTA
	A-8, GROUP I & II FLOOR, FRONT SIDE
	WAZIRPUR INDUSTRIAL AREA
	 
	Buffing of S.S. utensils.
	 
	 
	(1) Inspection details: inspection of the unit was conducted on 29.10.2010.
Observations:
1. Unit is engaged in mfg. of S.S. Utensils with buffing.
2. NO ECS provided to channelise the trade emissions genrated from buffing of stainless steel utensils.
(2) SCN u/s 31(A) details : Issued on 28.12.2010.
Reply has not been received.
(3) Closure directions  u/s 31(A) details : Issued on 16.03.2011.
Reply has not been received.
	Ask the compliance from discom  & DJB and also ask the SDM for effective closure of the unit. 
	Ask the compliance from discom  & DJB and also ask the SDM for effective closure of the unit. 

	3
	 
	 
	PARVEEN KUMAR
	A-16, GROU I & II FLOOR
	WAZIRPUR INDUSTRIAL AREA
	 
	mfg. of S.S. utensils with buffing.
	 
	 
	 (1) Inspection details: Inspection was conducted on 28.10.2010.
observations:
1. Unit is engaed in Mmfg. of stainless steel utensils with buffing.
2. The ground floor of the premises is being used for re-rolling of S.S. sheets.
3. The first floor of the premises is being used for buffing activity.
4. The Second floor of the premises is also being used for buffing activity.
5. No ECS provided to channelize the trade emissions generated from buffing activity.
(2) SCN u/s 31(A) details : Issued on 28.12.2010.
Reply has not been received. 
(3) Closure directions  u/s 31(A) details : 16.03.2011.
Reply has not been received. 
	Ask the compliance from discom  & DJB and also ask the SDM for effective closure of the unit. 
	Ask the compliance from discom  & DJB and also ask the SDM for effective closure of the unit. 

	4
	 
	 
	LAXMI PLASTIC
	B-34
	LAWRENCE ROAD INDL AREA
	 
	mfg. of plastic foot wear with the help of moulding machine
	 
	 
	(1) Inspection details: Inspection of the unit hwas conducted on 27.07.2010.
observations:
1. Unit is enaged in mfg. of plastic footwears with the help of molding machines.
(2) SCN u/s 21/22/25/26 details : Issued on 23.08.2010.
Reply has been received on 12.10.2010 stating that they are doing the work on rental basis which can be vacated at any time & that they did not know about the items covered under DPCC as mentioned in the notice.
(3) SCN u/s 31(A) details : 28.12.2010.
Reply has not been received.
(4) Closure directions  u/s 31(A) details : Issued on 16.03.2011.
Reply has not been received.
	Ask the compliance from discom & DJB and ask the unit to confirm on an affidavit that it is non operational in compliance of closure directions failing which, SDM will be asked for the effective closure of the unit. 
	Ask the compliance from discom  & DJB and also ask the SDM for effective closure of the unit. 

	5
	 
	 
	PLASTIC PIPE MFG. UNIT (OWNER SH. GYAN)
	B-69, GROUND FLOOR
	LAWRENCE ROAD INDUSTRIAL AREA
	 
	 
	 
	 
	(1) Inspection details: Inspection of the unit was conducted on 11.12.2010.
Observations:
1. Unit found operating, enaged in mfg. of plastic pipe using 2nd grade dana.
2. No ECS/ channelisation intalled over extruder to control the process emission generation.
3. Not applied for consent.
(2) SCN u/s 31(A) details : Issued on 06.01.2011.
Reply has not been received.
(3) Closure directions  u/s 31(A) details : Issued on 16.03.2011.
Reply has been received on 18.08.2011.
	Ask the compliance from discom & DJB and ask the unit to confirm on an affidavit that it is non operational in compliance of closure directions failing which, SDM will be asked for the effective closure of the unit. Discom be replied that there is no information available about K. No. of the unit as the unit has not applied for consent in DPCC therefore Discome may disconnect the connection from whcih the supply is being utilizied by the unit under consideration. 
	Compliance received from discom. Ask the compliance from DJB and also ask the SDM for effective closure of the unit. Discom be replied that there is no information available about K. No. of the unit as the unit has not applied for consent in DPCC therefore Discome may disconnect the connection from whcih the supply is being utilizied by the unit under consideration. 

	6
	29792
	06-05-09
	AALIANZ AUTOMOBILES
	A-24/4, MATHURA ROAD
	MOHAN CO-OPERATIVE INDUSTRIAL AREA
	Establish
	repair/replacement of parts/service of cars.
	(1) CTE : issued on 04.06.10 vd CNO23986
(2) CTO: not applied
(3) CTO(R) : N/a
(4) Authorization under HWM Rules : applied on 05.06.09 vd ID 5026
(5) Date of Commissioning : May, 2009
(6) BUA : 2100Sq. mts
(7) Water consumption: 2800 Lt/day
(8) Ground Water : 2800Lt/day
(9) Waste water discharge :
(a) Domestic effluent : 800 Lt/day
(b) Trade effluent: 1500 Lt/day
	07.05.10    
(In CTE with Aalianz authomobile)
Issue consent to establish. Subsequently, inspection be conducted. Ask the unit to apply for authorization under HWM Rules.
                 09.11.10
(In CTE with Aalianz authomobile)
Issue SCN for closure u/s 31(A) of the Air Act, u/s 33(A) of the Water Act and u/s 5 of the EPA.
                 10.08.11
( In CTE of M/s DIVINE AUTOMOBILES PVT. LTD., 24/4, MCIA
Ask M/s Aalianz Automobiles, who is the premises owner,  to submit bank guarantee of Rs. One Lakh each under Air Act, Water Act and HWM Rules valid for one year. If  M/s Aalianz Automobile submits the bank guarantee, closure directions be revoked and consent to establish be issued to M/s Divine Automobiles Pvt. Ltd. Copy of this letter be sent to M/s Divine Automobiles Pvt. Ltd. with the advise not to operate without revocation of closure directions issued to M/s Aalianz Automobile.
	(1) ETP: Proposed by M/s Divine Automobiles Pvt. Ltd. 
(2) ECS: Paint booth proposed by M/s Divine Automobiles Pvt Ltd. 
(3) D.G.Set: No D.G. Set proposed by M/s Divine Automobiles Pvt. Ltd. 
(4) Inspection details: conducted on 28.07.10 and following observations were made:
1. No ETP installed to treat the trade effluent & trade effluent is being discharge without any treatment.
2. No acoustic enclosure provided with DG set.
3. Unit is not complying the provision on HWM Rules.
4. One borewell exist.
(5) SCN u/s 31(A), 33(A) & 5 of EPA details : issued on 23.12.10.
No reply received from the unit.
(6) Closure directions  u/s 31(A)/33(A)/5 of EPA details : issued on 17.03.11.
Closure direction has been returned back undelivered. Hence, direction has pasted on wall on 06.04.11 & & following were observed:
(a) During inspection of machinery and renovation work is in progress.
(b) As reported, M/s AALIANZ AUTOMOBILES has been closed down & now premises is in possession of M/s DIVINE AUTOMOBILES PVT. LTD which is in progress to establish automobile workshop.
(c) Power supply exists.
(d) As reported some machinery has been taken over from AALIANZ AUTOMOBILES.
(e) Closure direction dated 17.03.11pasted on the wall of office of the unit
Unit submitted its reply along with an affidavit on 02.05.11 stating that they have close their workshop & requested to revoke the closure direction
letter received through BSES on 03.05.11 stating that they have disconnect the power supply of the unit.
M/s DIVINE AUTOMOBILES PVT. LTD applied for CTE on 06.04.11.vd ID 36836.
As decided by CMC dated 10.08.11, letter to submit BG for Rs. One Lakh each under Air Act, Water Act and HWM Rules valid for one year issued on 12.09.11
Letter to submit BG to M/s AALIANZ AUTOMOBILES & copy of letter send to M/s DIVINE AUTOMOBILES PVT. LTD  with advise not to operate without revocation of closure directions issued to M/s Aalianz Automobile dated 12.09.11 returned back undelivered.
	The letter received back be delievered at residential addresses. Ask the compliance from discom, DJB & MCD and also ask the SDM for effective closure of the unit.
	Compliance received from discom.  The letter received back be delievered at residential addresses. Ask the compliance from DJB, MCD and also ask the SDM for effective closure of the unit. 

	7
	 
	 
	Silver Grand Banquet & Lounge
	54, B-1, Rama Road, 
	Najafgarh Road Industrial Area, Delhi
	orange
	Banquet Hall & Lounge
	(1) CTE :Applied on 18.05.2011 vide ID no 37118
(2) CTO:Not applied 
(3) CTO(R) :Not applied
(4) Authorization under HWM Rules :Not applied
(5) Date of Commissioning : June 2011
(6) BUA : 600 sq yards
(7) Water consumption: 4.5 KLD
(8) Ground Water :NIL
(9) Waste water discharge :
(a) Domestic effluent : 1.6 KLD
(b) Trade effluent: 2.2 KLD 
	 
	(1) ETP:Not installed.  
(2) ECS: Improper channelization system.
(3) D.G.Set: 250 KVA (CTE application form), NMR not submiited
(4) Inspection details:conducted on 25.01.2011, during the inspection following were observed:
i) Waste water generated from kitchen is discharged directly into the sewer/drain        without any treatment. No Effluent Treatment Plant is found installed.
ii)  The ducting provided with the tandoors and bhatties is not found fitted with filters &             the height of the stack is not adequate. 
(5) SCN u/s 31(A) & 33(A) issued on 11.02.2011
(6) Closure directions  u/s 31(A) & 33(A) issued on 24.03.2011
Unit submitted its reply on 27.04.2011 and stated that all deficiencies has been rectified.
A compliance report received from NDPL but not from DJB.
	Ask the compliance from DJB and also ask the SDM for effective closure of the unit. Also inform to the unit that its reply dated 27.04.2011 has not been found satisfactory, therefore, it should not operate in violation of the closure directions issued on 24.03.2011.
	Ask the compliance from DJB and also ask the SDM for effective closure of the unit. Also inform to the unit that its reply dated 27.04.2011 has not been found satisfactory, therefore, it should not operate in violation of the closure directions issued on 24.03.2011.

	8
	33394
	01.04.2010
	SALVE PHARMACUTICAL PVT.LTD
	B-34 (UPPER GROUND FLOOR)
	LAWRENCE ROAD INDL AREA
	ESTABLISH
	Mfg. of Pharmaceutical Formulation ( Gel, Solution, Cream & Ointment)
	(1) CTE :(Y) Vide C.No.24718 issued on 05.07.11 and valid upto 07.04.11 
(2) CTO: (P) applied on 05.04.11 vide id no. 36829
(4) Authorization under HWM Rules :
(5) Date of Commissioning : 2010
(6) BUA : 300 sq mtr
(7) Water consumption: 0.2 kl/day.
(8) Ground Water :200 kl/day
(9) Waste water discharge :
(a) Domestic effluent : 0.1 kl/day.
(b) Trade effluent: 0.4 kl/weak.
	21.01.2011
Closure directions confirmed.
07.09.2011
Ask the unit to submit the bank guarantee of Rs. One Lakh each under Water Act and HWM Rules valid for one year and the reasons for operating the unit despite closure directions from DPCC
	(1) Inspection details: Inspection of the unit was conducted on 27.07.2010.
Observations:
1. Unit found in operation.
2. unit is enaged in mfg. of pharmaceuticals rkb formulation.
3. No ETP installed to treat the effluents.
4. As informed, within a week ETP shall be installed.
(2) SCN u/s 31(A)/33(A) details : Issued on 23.08.2010.
Reply has been received on 15.09.2010 alongwith the photographs of ETP stating that they have install the ETP & apply for Consent to Operate as soon as we soon as we get Adequecy & test reports from approved lab of DPCC. Further requested revocation of closure notice.
(3) Inspection details: Inspection of the unit was conducted on 23.10.2010.
Observations:
1. Unit found operating engaged in pharmacutical (formulation of ointment, creams, lotion for external application).
2. ETP found installed but lying defunct. No Dozing tank. No dry or wet sludge seen.
3. Effluent found being discharged without any treatment.
4. No HWM Rules are complied with.
(4) Closure directions  u/s 33(A)/5 of EPA details : Issued on 24.03.2011.
Reply has not been received.
	Decision taken in CMC(Orange) dated 07.09.2011 be implemented. Also ask the compliance from discom & DJB.
	Decision taken in CMC(Orange) dated 07.09.2011 implemented. Reply along with bank guarantee received. Closure directions be revoked and consent to operate and authorization be issued. Subsequently, surprise inspection be conducted within 03 months. 

	9
	 
	 
	Venus Grand
	54, Rama Road
	Najafgarh Road Industrial Area, Delhi
	 
	Banquet Hall
	(1) CTE : Applied for CTE on 12.08.2011 vide ID no 37867.
(2) CTO: Not applied
(3) CTO(R) :Not applied
(4) Authorization under HWM Rules :NA
(5) Date of Commissioning : Dec 2011
(6) BUA : 18000 sq feet
(7) Water consumption: 3 KLD
(8) Ground Water :Nil
(9) Waste water discharge :
(a) Domestic effluent : 0.5 KLD
(b) Trade effluent: 2 KLD
	 
	(1) ETP: Installed as reported in the representation / affidavit.  
(2) ECS: Channelization as reported in the representation / affidavit. 
(3) D.G.Set:125 KVA (Proposed as per CTE application)
(4) Inspection details: conducted on 25.01.2011, during the inspection following were observed:
i) Waste water generated from the kitchen is discharged directly into sewer/drain.No ETP found installed.
ii) The hood provided with the tandoor/bhatties is not found fitted witrh filters and the height of the stack is not adequate.
iii) D.G. Sets of 2X125 KVA found installed on the roof.
(5) SCN u/s 31(A) & 33 (A) issued on 11.02.2011
(6) Closure directions u/s 31 (A) & 33(A) of the Water Act details issued on 24.03.2011
Compliance report of only NDPL received.
Unit submitted its reply on 09.09.2011 along with affidavit and photographs of ETP & D.G. Sets and requested for revocation of directions.
	File has been put up administratively. 
	Closure directions revoked on 24.10.2011. No action warranted in this meeting. 

	10
	12147
	23.11.04
	M/s Sugandhi Snuff king pvt. Ltd.
	A-15, B1, Extn., 
	MOHAN CO-OPERATIVE INDUSTRIAL AREA
	Green
Operate
	Mfg. of Chewing Tobacco Products ( By mixing & packing only)
	(1) CTE : Not applied (orange)
(2) CTO: ( Green) issued on 08.04.05 vd CNO 12518 valid upto  22.11.09
(3) CTO(R) : Not yet applied
(4) Authorization under HWM Rules : N/a
(5) Date of Commissioning : April 2004
(6) BUA : 210 Sw. mts
(7) Water consumption: 250 Lt/day
(8) Ground Water : Nil
(9) Waste water discharge :
(a) Domestic effluent :  200 Lt/day
(b) Trade effluent: Nil
	              18.06.08  (Orange)
Ask the unit to file an affidavit for correction of all the deficiencies regarding channelization. Also ask the unit to file Bank Guarantee of Rupees One Lakh under Air Act. Call on 18.07.2008.
               17.09.08 (Orange)
The unit has not responded to the notices issued by DPCC. Issue a final reminder. Call on 16.10.2008.
               15.10.08 (Orange)
Issue final reminder. If it does not respond, notice for closure will be issued. Call on 24.11.2008.
               24.11.08 (Orange)
SIT to inspect and report. Call on 17.12.08
               18.12.08 (Orange)
SIT inspection found the following deficiencies:-
- No air pollution control device found in the process area, proper collection channelization and filter bag needs to be installed in the process area to control fine dust emissions of the tobacco leaves.
Ask the unit to correct all the deficiencies and submit the affidavit in this regard. Also ask the unit to submit Bank Guarantee of Rs. 50,000 under Air Act, 1981 valid for one year. Call on 21.01.2009
               21.01.09 (Orange)
Issue final reminder. Call on 25.02.09
               25.02.09 (Orange)
Shift to CMC (Green)
              19.05.09 ( Green)
Issue final reminder
	(1) ETP: Not applicable. 
(2) ECS: Installed
(a) AR : applied to DTU. 
(2) D.G.Set:45 KVA
(a) Noise monitoring report of 45 KVA : applied to DPCC. 
(3) Inspection details: A public compaint was received in this office on 15.11.10. As approved, An inspection was conducted by DPCC officials on 23.11.10 & following were observed:
(a) The unit is engaged in Mgf. Of chewing tobacco by manual mixing of ingredients such as plain tobacco essence, kiwam & glyceniue and sealing/ packing with the help of sealing m/c.
(b) No visible emissions were observed. However, some smell was observed. Only packing & sealing was being done during the inspection.
(c) One bore well exists.
(d) No ECS/ channelization provided in the process area as directed earlier.
(4) SCN u/s 31(A)details : SCN u/s 31 (A) of Air Act for closure issued on 01.03.11
However,no reply was received in response to aforesaid SCN and therefore directions for closure u/s 31 (A) of the Air Act was issued 
(5) Closure directions  u/s 31(A) details : issued on 05.04.11.
Letter recived from BSES on 27.04.11 stating that electricity supply of said address has disconnected on 15.04.11.
No complaince received from conserned authorities i.e MCD & DJB.
Unit has submitted its reply on 18.08.11 along with BG of Rs. 50,000/- under Air Act, photograph of Dust collector & an affidavit stating that they have installed ECS with mixing area & also applied to DTU for Adequacy report of ECS. Adequate stack height & acoustic enclosure has also been provided with the DG set of 45 KVA & also applied to DPCC lab for NMR.The unit has  requested for revocation of closure direction & assured that they will apply for CTO (orange) after getting the Adequacy report & NMR.The unit has also informed that they have applied for CTE (orange) but no application has been received so far.
	Ask the compliance from DJB & MCD. Also ask the unit to submit a bank guarantee of Rs. One Lakh under Air Act valid for one year along with the technical adequacy report of the Emission Control System (in non operative condition of the unit) and an affidavit that unit is non operational in compliance of closure directions and plastic pouches are not used in the unit clearly indicating that in case of non compliance, SDM will be asked for effective closure of the unit. If the unit complies with the aforesaid directions, the earlier bank guarantee of Rs. 50,000 under Air Act may be returned. The unit is required to apply for consent to operate under orange category after revocation of the closure directions. 
	Ask the compliance from DJB & MCD. Also ask the unit to submit a bank guarantee of Rs. One Lakh under Air Act valid for one year along with the technical adequacy report of the Emission Control System (in non operative condition of the unit) and an affidavit that unit is non operational in compliance of closure directions and plastic pouches are not used in the unit clearly indicating that in case of non compliance, SDM will be asked for effective closure of the unit. If the unit complies with the aforesaid directions, the earlier bank guarantee of Rs. 50,000 under Air Act may be returned. The unit is required to apply for consent to establish and consent to operate under orange category after revocation of the closure directions. 

	11
	 
	 
	Ferry International
	B-252, Phase-I
	Naraina Idnsutrial Area, Delhi
	Green
	Press items
	(1) CTE :dated 23.06.2011 refused on 20.04.2011 under green category
(2) CTO:NA
(3) CTO(R) :NA
(4) Authorization under HWM Rules :NA
(5) Date of Commissioning : JULY 2010
(6) BUA : 960 sqm.
(7) Water consumption: 0.1 KLD
(8) Ground Water :nil
(9) Waste water discharge :
(a) Domestic effluent : 0.05 KLD
(b) Trade effluent: nil
	Decision on 16.07.2010
Inspection be conducted.
Decision on 05.10.2010
Issue SCN for refusal of consent & SCN u/s 31 (A) of the Air Act.
Decision on 30.12.2010
Ask the unit to take necessary action for removing of D.G. Set from its premises and confirm on an affidavit.
Decision on 17.02.2011
Consent refused. Confirm closure directions.
	(1) ETP: NA
(2) ECS: NA
(3) D.G.Set: NIL (according to application form)
(4) Inspection details:conducted on 17.08.2010, during the inspection following were observed:
i) One D.G. Set of 62.5 KVA found installed without acoustic enclosure and inadequate stack height.
(5) SCN u/s 31(A) of the Air Act and refusal of consent details :issued on 0811.2010
(6) Closure directions  u/s 31(A) of the Air Act details :20.04.2011
Unit submit its represntation long with an affidavit on 29.04.2011. As decided by the Competent Authority a letter for Bank Guarantee of Rs. 50,000 under Air Act issued to the unit on 13.06.2011.
Unit did not submit the Bank Guarantee yet.
Compliance received from NDPL and informed that they have disconnected the supply of M/s Ferry International. 
	Ask the compliance from  DJB and ask the unit to confirm on an affidavit that it is non operational in compliance of closure directions failing which, SDM will be asked for the effective closure of the unit. 
	Ask the compliance from  DJB and inspection be conducted. 
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	24045
	29.10.2007
	RAJ BAHADUR
	A-102/45
	WAZIPUR INDL AREA
	 
	Buffing of S.S. utensils.
	(1) CTE : (P) Vide ID No. 24045, applied on 29.10.2002
(2) CTO: Not Applied
(3) CTO(R) : Not Applied
(4) Authorization under HWM Rules :
(5) Date of Commissioning : 2007
(6) BUA : 100 sq mtr
(7) Water consumption: 100 ltr/d
(8) Ground Water : Nil
(9) Waste water discharge :
(a) Domestic effluent : 50 ltr/d
(b) Trade effluent: Nil
	20.10.2009
Issue SCN for refusal and for closure of the unit.
	(1) ETP: N/A
(2) ECS:Not Installed.
(3) D.G.Set: NIL
(4) Inspection details: Inspection of the unit was conducted on 07.07.2009.
Observations:
1. Unit found operational & is engaged in buffing of S.S. Utensils & is located at part of 2nd floor.
2. Buffing is being carried out without any ECS installed.
(5) SCN u/s 31(A)/33(A) details : Issued on 07.01.2010 & refusal of consent on 07.01.2010.
reply has been on 13.01.2010 stating that ther were waiting for certificate
 in reply to the consent order but after receving over notice they immediately
 order for the installation of ECS on buffing machines. Further, they requested 
for 30 days time for installation of ECS & to withdraw the SCN.
(6) Inspection details: Inspection of the unit was conducted on 18.12.2010.
Observations:
1. Unit found operating, engaged in buffing of S.S. utensils from last 3 years. 
Unit is operating without CTO.
2. No ECS installed to control teh process emission generated fro buffing.
3. Significant process emission observed.
(6) Closure directions  u/s 31(A) details : Issued on 25.04.2011.
Reply has not been received.
	Ask the compliance from discom  & DJB and also ask the SDM for effective closure of the unit.
	Ask the compliance from discom  & DJB and also ask the SDM for effective closure of the unit.
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	21157
	30.04.2007
	ARUSHI EXPORT
	A-29, GROUP
	WAZIPUR INDL AREA
	ESTABLISH
	S.S.Pickling and cold re-rolling
	(1) CTE : R.No 1715 refused on 24.11.08
(2) CTO: Not applied.
(3) CTO : Not applied.
(4) Authorization under HWM Rules :
(5) Date of Commissioning : 2007.
(6) BUA : 400 sq mtr.
(7) Water consumption: 6 kl/day. 
(8) Ground Water : 6 kl/day. 
(9) Waste water discharge :
(a) Domestic effluent : 1 kl/day
(b) Trade effluent: 5 kl/day
	29.04.2009
The decision of of CMC reiterated. Ask the unit to file Bank Guarantee by 28.05.2009.
	(1) Inspection details: Inspection of the unit was conducted on 17.09.2010.
Observations:
1. unit found in operation as pickling of S.S. sheet was in process.
2. ETP has been installed but the same was not in operation.
3. NO fresh ETP sludge observed which clearly shows that ETP 
was not in operation for 1 or 2 weeks.
4. ECS i.e ducting with exaust fan alongwith chimney has been 
provided to channelize the trade emissions, but the same was not 
working satisfactorily and no water observed in scrubbing system.
(2) SCN u/s 31(A)/33(A)/5 of EPA details : Issued on 28.10.2010.
Reply has  been received on 15.11.2010 stating that deficiencies 
observed during inspection have been rectified, requested to withdraw the directions..
(3) Inspection details: Inspection of the unit was conducted on 07.03.2011.
Observations:
1. Unit found operating, enaged in S.S. Pickling and cold re-rolling.
2. ETP found installed but lying defunct. Chemical dozing tanks are empty.
Filter pree lying defunct. No wet sludge seen. Waste water discharges witout any treatment.
3. ECS found installed but not working properly. Scruubing system found defunct. 
4. HWM Rules are not complied with.
5. Borewell connection exist= 01 nos.
(4) Closure directions  u/s 31(A)/33(A) details : Issued on 29.04.2011.
Reply has not been received. 
	Ask the compliance from discom  & DJB and also ask the SDM for effective closure of the unit. Issue reminder to MCD, DDA & COI. 
	Ask the compliance from discom  & DJB and also ask the SDM for effective closure of the unit. Issue reminder to MCD, DDA & COI. 
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	Richi Rich Banquet,
	21, Rama Road
	Najafgarh Road Industrial Area, Delhi
	 
	Banquet Hall
	Not Applied for consent
	 
	(1) ETP: Not installed. 
(2) ECS:Channelization not provided. 
(3) D.G.Set:125 KVA (According to the inspection)
(4) Inspection details:Conducted on 25.01.2011, during the inspection it was observed that food fom other unit namely M/s Richi Rach, 1/12 WHS, Kirti Nagar, New Delhi and DG set of 125 KVA installed without adequate stack height.
(5) SCN u/s 25/26 & u/s 21/22 issued on 11.02.2011 and SCN u/s 31(A)/33(A) details :Issued on 21.03.2011
(6) Closure directions  u/s 31(A)/33(A) details :Issued on 03.05.2011. 
Compliance from NDPL received on 02.06.2011
	Ask the compliance from DJB and also ask the SDM for effective closure of the unit. Also inform to the unit that its reply dated 24.05.2011 is without any positive evidence of having installed the pollution control devices and no further response received from the unit of any progress made in this regard.  
	Reply along with affidavit received on 02.11.2011. Ask the compliance from DJB and also ask the SDM for effective closure of the unit. Ask the unit to submit technical adequacy report of ETP from empanelled consultant of DPCC. 
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	26147
	24.06.08
	THE ORIENTAL BLOOM
	C-309/310, KHEL GAON MARG ANSAL PLAZA
	NC-S
	Orange
	Restaurant (84 seats)
	(1) CTE : not required
(2) CTO:  issued on 03.09.04 vd CNO 11625.
(3) CTO(R) : refused on 4.05.11 vd refusal no. 2111
(4) Authorization under HWM Rules : N/a
(5) Date of Commissioning : 2002
(6) BUA : 2800 sq ft
(7) Water consumption: 7000-8000 lt/day 
(8) Ground Water : 7000-8000 lt/day
(9) Waste water discharge :
(a) Domestic effluent : 800 lt/day
(b) Trade effluent: 5000-6000 lt/day
	                           13.01.11
Issue SCN for refusal of consent and SCN for closure for non installation of ETP to achieve the newly notified standards. Inform to DJB regarding ground water extraction. 
	(1) ETP: Not installed 
a) AR : not submitted. 
(b) Effluent analysis report : not submitted.
(c) Number of parameters analyzed : not applicable.  
(2) ECS: channelization system reported. 
(a) AR : Not applicable.  
(b) Stack monitoring report : Not applicable. 
(c) Number of parameters analyzed : Not applicable.   
(3) D.G.Set: .N/A
(4) Inspection details: inspection not conducted
(5) SCN u/s 33(A) details : SCN u/s 33 (A) of the Water Act issued to the unit on 28.02.11 ( SCN for refusal of Consent & letter to DJB also issued on 28.02.11). 
However,no reply was received in response to aforesaid SCN and therefore directions for closure u/s 33 (A) of the Water Act was issued 
(6) Closure directions  u/s 33(A) details : Directions for closure u/s 33 (A) of the Water Act was issued to the unit on 04.05.11 ( refusal of consent issued on 04.05.11).
No complaince received from the unit as well as conserned authorities i.e MCD, DJB & BSES.
	Ask the compliance from discom, DJB & MCD and also ask the SDM for effective closure of the unit.
	Ask the compliance from discom, DJB & MCD and also ask the SDM for effective closure of the unit.
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	AMBIKA PLASTIC
	B-69, GROUND FLOOR
	LAWRENCE ROAD INDUSTRIAL AREA
	 
	Mfg. of plastic product using 2nd grade dana as raw material.
	 
	 
	(1) Inspection details: Inspection of the unit was conducted on 11.12.2010.
Observations:
1. unit found operating, enaged in mfg. of plastic products i.e. briefcase covers etc., using fresh as well as 2nd grade dana as raw material.
2. No ECS/ channelisation installed to control the process emission generated from the moulding process.
(2) SCN u/s 31(A) details :  Issued on 06.01.2011.
Reply has not been received.
(3) Closure directions  u/s 31(A) details :  Issued on 11.05.2011.
Reply has not been received.
	Ask the compliance from discom & DJB and ask the unit to confirm on an affidavit that it is non operational in compliance of closure directions failing which, SDM will be asked for the effective closure of the unit. 
	Ask the compliance from discom  & DJB and also ask the SDM for effective closure of the unit. 
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	EVA FOOTWEAR (PROP. SH. PAPPAL)
	B-69, IST FLOOR
	LAWRENCE ROAD INDUSTRIAL AREA
	 
	EVA Dana 2nd garde.
	 
	 
	(1) Inspection details: Inspection of the unit was conducted on 11.12.2010.
Observations.
1. Unit found operating, enaged in mfg. of EVA Footwear 2nd grade.
2. No ECS/channelization installed to control the process emission generated from the moulding process.
(2) SCN u/s 31(A) details : Issued on 11.01.2011
Reply has not been received.
(3) Closure directions  u/s 31(A)  details : Issued on 11.05.2011.
Reply has not been received.
	Ask the compliance from discom & DJB and ask the unit to confirm on an affidavit that it is non operational in compliance of closure directions failing which, SDM will be asked for the effective closure of the unit. 
	Ask the compliance from discom  & DJB and also ask the SDM for effective closure of the unit. 
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	SHRI KRISHNA FOOTWEAR
	B-69, IST AND 2ND FLOOR
	LAWRENCE ROAD INDUSTRIAL AREA
	 
	mfg. sole and footwear using E.V.A. dana.
	 
	 
	(1) Inspection details: Inspection of the unit was conducted on 11.12.2010.
Observations:
1. Unit found operating wihout consent.
2. No ECS/channelisation installed over the moulding presses to control the process emisssions.
(2) SCN u/s 31(A) details : Issued on 06.01.2011.
Reply has not been received.
(3) Closure directions  u/s 31(A) details :  Issued on 11.05.2011.
Reply has not been received.
	Ask the compliance from discom & DJB and ask the unit to confirm on an affidavit that it is non operational in compliance of closure directions failing which, SDM will be asked for the effective closure of the unit. 
	Ask the compliance from discom  & DJB and also ask the SDM for effective closure of the unit. 
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	SUNIL GUPTA
	B-34/12
	LAWRENCE ROAD INDUSTRIAL AREA
	 
	mfg. of plastic product with the help of molding machine.
	 
	 
	(1) Inspection details: Inspection of the unit was conducted on 27.07.2010.
Observations:
1. Unit is engaged in mfg. of plastic footwear with the help of moulding machine.
(2) SCN u/s 31(A) details : Issued on 23.08.2010.
Reply has not been received.
(3) Closure directions  u/s 31(A)/33(A)/5 of EPA details : Issued on 11.05.2011.
Reply has been received on 24.006.2011 along with an affidavit stating that
 M/s Sunil Plastic through its prop. Mr. Sunil Gupta was the tenant of the
 unit at basement floor but the said firm has vacated the said premises on 
05.06.2011 & now this portion is being used as godown purpose.
	Ask the compliance from discom & DJB and ask the unit to confirm on an affidavit that it is non operational in compliance of closure directions failing which, SDM will be asked for the effective closure of the unit. 
	Ask the compliance from discom  & DJB and also ask the SDM for effective closure of the unit. 
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	31257
	28.08.2009
	EXPERT MATHAROO ENGG. WORKS
	B-80
	GTK ROAD INDUSTRIAL AREA
	RENEWAL (Green)
	Light Engg. Works 
	(1) CTO: (Y) green Vide C.No. 11471 issued on 23.08.04 and valid upto 22.08.09
(2) CTR (R) : Green refused on 18.11.10 and refusal no. 2065
(3) Authorization under HWM Rules :
(4) Date of Commissioning : 
(5) BUA : 
(6) Water consumption: 
(7) Ground Water :
(8) Waste water discharge :
(a) Domestic effluent : 
(b) Trade effluent: 
	07.10.2010
Consent refused and issue SCN u/s 31 (A) of the Air Act for closure of the unit.
	(1) Inspection details: Not Conducted.
(2) SCN u/s 31(A) & Refusal of consent details : issued on 18.11.2010.
Reply has not been received.
(3) Closure directions  u/s 31(A) details : Issued on 19.05.2011.
Reply has not been received.
	Ask the compliance from discom & DJB and ask the unit to confirm on an affidavit that it is non operational in compliance of closure directions failing which, SDM will be asked for the effective closure of the unit. 
	Ask the compliance from discom  & DJB and also ask the SDM for effective closure of the unit. 

	21
	 
	 
	RAJ OVERSEAS
	C-60/1
	WAZIRPUR INDL AREA
	 
	S.S. Pickling & Rolling.
	(1) CTE :(Y) Vide C.No 18503. issued on 07.05.08 valid upto 06.05.09
(2) CTO: R.No 1649 refused on 07.08.07.
(3) CTO :
(4) Authorization under HWM Rules :
(5) Date of Commissioning : 
(6) BUA : 
(7) Water consumption: 
(8) Ground Water :
(9) Waste water discharge :
(a) Domestic effluent : 
(b) Trade effluent: 
	 
	(4) Inspection details: Inpection of the unit was conducted on 05.03.2011:
Observations:
1. ETP found installed but lying defunct reaction tank found broken. 
Filter press lying defunct. No wet sludge. 
waste water is being discharged directly into drain without any treatment.
2. ECS found installed but not working properly. 
Acidic fumes observed.
3. HWM Rules are not complied with properly.
4. Bore well connection exist=01 nos.
5. Emission also observed from annealing furnce beside 
stack height is inadequate.
(5) SCN u/s 31(A)/33(A)/5 of EPA details : issued on 
18.03.2011 and no reply has been received.
(6) Closure directions  u/s 31(A)/33(A)/5 of EPA details : issued on 
20.05.2011 and reply has been received.
	Ask the compliance from discom  & DJB and also ask the SDM for effective closure of the unit. Issue reminder to MCD, DDA & COI. 
	Ask the compliance from discom  & DJB and also ask the SDM for effective closure of the unit. Issue reminder to MCD, DDA & COI. 
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	PICKLING WORKS (MR SURESH AND Mr. shakti)
	C-58 (TOP FLOOR)
	WAZIRPUR INDL AREA
	 
	S.S. Pickling.
	 
	 
	(1) Inspection details: Inspection of the unit was conduted on 01.03.2011.
Observations:
1. Unit found operating, engaged in S.S. pickling.
2. No ETP installed; waste water is being discharged without any treatment.
3. ECS installed but same was not working.
4. HWM Rules are not complied with.
5. Bore well connection exist= 01nos.
(2) SCN u/s 31(A)/33(A)/5 of EPA details : Issued on 16.03.2011.
Reply has been not received.
(3) Closure directions  u/s 31(A)/33(A)/5 of EPA details : Issued on 25.05.2011.
Reply has been not recieved.
	Ask the compliance from discom  & DJB and also ask the SDM for effective closure of the unit. Issue reminder to MCD, DDA & COI. 
	Ask the compliance from discom  & DJB and also ask the SDM for effective closure of the unit. Issue reminder to MCD, DDA & COI. 
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	R.D. STEEL
	C-58/2 (FRONT SIDE)
	WAZIRPUR INDL AREA
	 
	 S.S. Pickling 
	(1) CTE : (P) Vide ID No. 24014 applied on 24.10.07
(2) CTO: (P) Vide ID No. 13233 applied on 28.03.05
(3) Authorization under HWM Rules :
(4) Date of Commissioning : 2002
(5) BUA : 50 sq mtrs
(6) Water consumption: 3500 ltr/day
(7) Ground Water :Nil
(8) Waste water discharge :
(a) Domestic effluent : 200 ltr/day
(b) Trade effluent: 3000 ltr/day
	 
	(1) Inspection details: Inspection of the unit was conducted on 01.03.2011.
Observations:
1. Unit found operating, engaged in S.S. Pickling.
2. ETP & ECS found installed but same are lying defunct. No filter press. 
No wet sludge. Waste water discharges without treatment. Acidic fumes observed.
3. HWM Rules are not complied with properly.
4. Borewell connection exist= 01 nos.
(2) SCN u/s 31(A)/33(A)/5 of EPA details : Issued on 16.03.2011.
Reply has not been received.
(3) Closure directions  u/s 31(A)/33(A)/5 of EPA details : Issued on 25.05.2011.
Reply has been received on 31.05.2011 stating that they have not
 received any notice from DPCC neither was there unit inspected there unit 
is operational and they are also maintaining the ETP, ECS & complied with 
HWM Rules. further, requesting for visit and directions for closure.
Reply has been again received on 03.06.2011 alongwith an adequecy report of ETP.
Reply has been again received on 24.6.2011 alongwith an affidavit stating that
 they are not interested in running the unit. Further, requested for revokation of closure directions.
(4) Inspection details: Inspection of the unit was conducted on 05.08.2011.
Observations:
1. Unit namely M/s R.D. Steel vacated the premises and no other unit at front 
side exists at time of inspection.
2. No plant machinary exist at the site.
As per the decision taken up by Competent Authority letter for bank 
guarantee was sent on 19.08.2011.
	Ask the compliance from discom  & DJB. Ask the unit to submit the response of the letter dated 19.08.2011 within 15 days, failing which, SDM will be asked for effective closure of the unit. 
	Ask the compliance from discom  & DJB and also ask the SDM for effective closure of the unit.
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	M.S. PLASTIC
	I-2136, DSIDC
	NARELA INDL AREA
	 
	PVC waste reprocessing.
	 
	25.11.2010
Issue SCN u/s 31 (A) of Air Act & 33 (A) of Water Act.
	
(1) Inspection details: Inspection of the unit was conducted on 19.10.2010.
Observations:
1. Unit found operating, engaed in PVC waste reprocessing with washing of PVC waset and moulding and finally mfg. of dana.
2. No ETP instyalled and waste water is being discharged directly into sewer.
3. Significant process emissions observed due to cutting/grinding and moulding of PVC waste for which Nno ECS installed.
4. No information about consent.
(2) SCN u/s 31(A)/33(A) details : Issued on 02.02.2011.
Reply has not been recevied.
(3) Closure directions  u/s 31(A)/33(A) details : Issued on 30.05.2011.
Reply has not been recevied.
	Ask the compliance from discom  & DJB and also ask the SDM for effective closure of the unit.
	Ask the compliance from discom  & DJB and also ask the SDM for effective closure of the unit.
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	28186
	24.11.2008
	KIRAN TALWAR
	A-254, DSIDC
	NARELA INDL AREA
	ESTABLISH
	Mfg of PVC wire and cables
	(1) CTE (R): refused on 30.05.11 vide refusal no. 2118
(2) CTE: (P) Applied on 09.09.11 Vide Id no. 38060
(3) CTO(R) : refused on 30.09.04 vide refusal no. 494
(4) Authorization under HWM Rules :
(5) Date of Commissioning : jan 2009
(6) BUA : 350 sqr mtr
(7) Water consumption: 145 ltr/day
(8) Ground Water : 145 ltr/day
(9) Waste water discharge :
(a) Domestic effluent : 75 ltr/day
(b) Trade effluent: Nil
	 
	(1) D.G.Set: NIL
(2) Inspection details: Inspection of the unit was conducted on 14.12.2010.
Observations:
1. Unit is enagaged in Mfg. of PVC granules from old plastic scraps. 
This activity is being carrie out on basement and ground floor of the premises.
2. The 2nd floor of the premises is being used for mfg. of PVC wires and 
cabels with fresh plastic granules.
3. No measures taken to channelise the trade emissions generated from 
the process of Mfg. of PVC granules.
4. Top floor of the premises is being used by Shri Bhagat Jee and the unit 
owned by Shri Bhagat Jee is engaged in Mfg. of yarn thread without ant washing 
and dyeing. This unit was in operation without any valid CTE/CTO.
(3) SCN u/s 31(A) & refusal of consent details : Issued on 20.01.2011.
Reply has been received on 07.01.2011 alongwith an affidavit stating that they are 
in the process of installation of proper channelisation & requested for 30 days 
time to complete all the formalities and submit the file of CTO for Mfg. PVC granules, 
wires & cables. 
(4) Closure directions  u/s 31(A) details : issued on 30.05.2011.
Reply has been received on 07.06.2011 alongwith an affidavit stating
 that the chimney with adequate stack height has been installed, futher the 
premises (basement & G.F where dana is manufactured) shall be vacated 
within 30 days & they shall apply for CTE/CTO within 7 days.
(5) Inspection details: Inspection of the unit was conducted on 03.08.2010.
Observations:
1. Unit found operational at 2nd floor engaged in the activity of mfg. of PVC wires 
& cables with fresh plastic granules (90%) & 2nd gade granules (10%) without any channelisation. 
2. Unit has stopped the activity of mfg. of PVC granules which is as per report
 (Inspection on 14.12.2010) earlier was doing. Basement & First floor lying vacant & they 
informed that they stopped this activity since march 2011. Electicity connection found 
disconnected.
3. Top floor of the premises is being used by Shri Bhagat Jee & the unit is engaged
 in the activity of mfg. of yarn thread without any washing and dyeing. and they have 
applied for CTE (08.02.2011).  
Reply has been received on 08.08.2011 alongwith an affidavit requesting 
for revocation of closure directions under section 31 (A) of Air Act & submitting 
that the activity of Mfg. of PVC dana using scrap has been close down and the
 tenant has vacated the factory premises.
	Ask the compliance from discom  & DJB and also ask the unit to stop the operation of the unit immediately in compliance of the closure directions and to provide the proper hood & suction arrangement followed by a duct of atleast 2 meter above the roof level to channelize  the process emissions and confirm on an affdiavit along with photographs within 15 days, failing which, SDM for effective closure of the unit.
	Compliance received from discom. Reply along with affidavit received from the unit. Ask the unit to submit bank guaranteee of Rs. One Lakh under Air Act valid for one year. If unit submits the requisite bank guarantee, closure direction be revoked. 
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	Krishan Lal Chhabra
	H-14
	DSIDC Industrial Area, Rohtak Road, Delhi
	Orange
	Mfg. of Plastic compound & its moulding products.
	(1) CTE :Issued valid upto 25.04.2011 vide consent order no. 23424 in the activity of Mfg. of Plastic compound & its moulding products.
(2) CTO:Not applied 
(3) CTO(R) :Not applied
(4) Authorization under HWM Rules :not applied
(5) Date of Commissioning : Feb, 2010
(6) BUA : 100 sqm
(7) Water consumption: 0.2 KLD
(8) Ground Water :Nil
(9) Waste water discharge :
(a) Domestic effluent : 0.16 KLD
(b) Trade effluent: Nil
	Decision on 09.11.2010
Issue SCN u/s 31 (A) of the Air Act for clousre of the unit.
Decision on 31.03.2011
Conformation of clousre directions.
	(1) ETP: N/A
(2) ECS: No
(3) D.G.Set:Nil
(4) Inspection details:Inspection conducted on 13.09.2010, during the inspection following were observed:
i) Two exhaust fans are provided at site.
ii) Lot of smoke is generated in open area from hot mixture, no any pollution control divices are provide.
(5) SCN u/s 31(A) details :Issued on 21.12.2010
(6) Closure directions  u/s 31(A)details :Issued on 02.06.2011.
Unit submitted its reply along with an affidavit and photographs of duct on 17.06.2011 and stated that they have installed the Pollution control deivce on hot mixture. 
A letter issued to the unit on 20.07.2011 for providing the proper details of the channelization provided.
	Ask the compliance from discom & DJB and ask the unit to confirm on an affidavit that it is non operational in compliance of closure directions failing which, SDM will be asked for the effective closure of the unit. 
	Ask the compliance from discom  & DJB and also ask the SDM for effective closure of the unit. 
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	Girdhars International Pvt. Ltd.
	F-16
	 Udyog Nagar Industrial Area
	orange
	Mfg. of candles
	(1) CTE :Not applied 
(2) CTO:issued valid upto 30.05.2006 vide consent order no 12721
(3) CTO(R) :Application dated 04.09.2009 refused on 03.06.2011.
(4) Authorization under HWM Rules :Not applied 
(5) Date of Commissioning : April, 2000
(6) BUA : 979 sqm.
(7) Water consumption: 3 KLD
(8) Ground Water :NIL
(9) Waste water discharge :
(a) Domestic effluent : 2.4 KLD
(b) Trade effluent: NIL
	Decision on 25.01.2010
Ask the unit to file affidavit for Nil discharge
Decision on 07.10.2009
Inspection be conducted to ascertain the purification of wax.
Decision on 19.08.2010
Issue SCN for refusal of consent and SCN u/s 31(A) of the Air Act and u/s 33(A) of the Water Act. 
Decision on 31.03.2011
Recommended for refusal of consent and confirmation of closure directions. 
	(1) ETP: No
(2) ECS: No
(3) D.G.Set:125 & 250 KVA
(a) Noise monitoring report of 125 & 250 KVA dated 02.07.2009 issued by DPCCsubmitted and noise levels are within limit / beyond limit. 
(4) Inspection details: conducted on 28.10.2009, during the inspection following were observed:
1) No channelization system provided to control emission generated during melting of wax. 
2) Brine solution generated during backwash of softening plant is being discharged without treatment.
3) In the submitted documents, only one boiler is reported, however during inspection 2nos. of thermic fluid heaters & one number of steam boiler with inadequate stack height are found in the premises. No stack monitoring report submitted to these heaters/boilers.
(5) SCN u/s 31(A) & 33(A) issued on 18.10.2010
(6) Refusal of consent Closure directions u/s 31(A) & 33 (A) issued on 02.06.2011
Unit submitted its representation on 13.06.2011 regarding rectifications of deficiencies
A letter has been issued to the unit on 02.09.2011 for submission of corrected bank guarantees. The unit has taken back the old bank guarantees on 15.09.2011 and fresh bank guarantee has not submitted. 
	As per approval on file, it was decided to seek the bank guarantees from the unit and subsequently, inspection was to be conducted. The  unit submitted the improper bank guarantees which have been returned to the unit and thereafter no response received from the unit. Ask the compliance from discom and DJB. Issue reminder to the unit for submission of the requisite bank guarantee within 15 days, failing which, SDM will be asked for effective closure. 
	Inspection conducted. Reply along with bank guarantee received. Ask the unit to submit technical adequacy report of the waste water treatment system for regenerated waste water from softning plant from empanelled consultant of DPCC. If unit submits the requisite technical adequacy report, closure directions be revoked. 

	28
	 
	 
	Randhawa Garden
	Mahipal Dwarka Road
	Samalakha, New Delhi
	orange
	Party Lawn 
	(1) CTE :Applied on 09.05.2011 vide ID no 37052
(2) CTO:NA
(3) CTO(R) :NA
(4) Authorization under HWM Rules :NA
(5) Date of Commissioning : June 2011
(6) BUA : 2000 sqm
(7) Water consumption: 6 KLD
(8) Ground Water :nil
(9) Waste water discharge :
(a) Domestic effluent : 5 KLD
(b) Trade effluent: nil
	 
	(1) ETP: Not installed
(2) ECS: NA
(3) D.G.Set: 3x125, NMR not submitted
(4) Inspection details: conducted on 05.04.2011, during the inspection following were observed:
i) No Sewage Treatment Plant/ Effluent Treatment Plant found installed.
ii) Effluent being discharged into the two soaks pits.
iii) 3X125 KVA & 1X162 KVA of D.G. Sets found installed with acoustic enclosure and inadequate stack height.
(5) SCN u/s 31(A) & 33(A) issued on 13.04.2011
(6) Closure directions u/s 31(A) & 33(A) issued on 02.06.2011.
Unit submitted its reply on 22.06.2011 and requested  30 days time for installation of ETP.
No compliance has been received from DJB, BSES & MCD.
	Ask the compliance from discom, DJB  & MCD and also ask the SDM for effective closure of the unit.
	Ask the compliance from discom, DJB  & MCD and also ask the SDM for effective closure of the unit.
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	Kavira Garden
	Kh. No. 424, Arora Service Station, Near Westend Green
	 Rangpuri, NH-8, Delhi-37
	 
	Marriage /party lawn
	Not Applied
	 
	(1) ETP: No
(2) ECS: No
(3) D.G.Set:15 KVA (As per Inspection report)
(4) Inspection details: conducted on 25.02.201. during the inspection following were observed:
i) Kitchen exist. No ETP/ STP found installed.
ii) two Borewell exist for the disposal of effleunt generated from the kitchen/ toilets.
iii) One DG set of 15 KVa found installed without acoustic enclosure.
(5) SCN u/s 31(A) & u/s 33 (A) issued on 04.03.2011
(6) Closure directions  u/s 31(A) & u/s 33 (A) issued on 02.06.2011.
Compliace letter issued to the DJB, MCD & BSES on 05.07.2011
	Ask the compliance from discom, DJB  & MCD and also ask the SDM for effective closure of the unit.
	Ask the compliance from discom, DJB  & MCD and also ask the SDM for effective closure of the unit.
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	G.S. ENTERPRISES
	A-74/2
	WAZIRPUR INDL AREA
	 
	Cold Rerolling (pickling activity removed)
	(1) CTE :
(2) CTO:
(3) CTO(R) :
(4) Authorization under HWM Rules :
(5) Date of Commissioning : 
(6) BUA : 
(7) Water consumption: 
(8) Ground Water :
(9) Waste water discharge :
(a) Domestic effluent : 
(b) Trade effluent: 
	 
	(1) Inspection details: Inspection of the unit was conducted on 17.03.2011.
Observations:
1. Unit found operating, engaged in S.S. Pickling & Cold re-rolling.
2. ETP & ECS found installed but same are not working. Settling tank
 found empty. Filter press lying defunct. No wet sludge.
3. HWM Rules are not complied with.
4. Bore well connection exist= 01 nos.
(2) SCN u/s 31(A)/33(A)/5 of EPA details : Issued on 07.04.2011.
Reply has been not received.
(3) Closure directions  u/s 31(A)/33(A)/5 of EPA details : Issued on 02.06.2011.
Reply has been received on 25.07.2011 alongwith an affidavit stating 
that you have rectified all the deficiencies oobserved during inspection.
Reply has been received on 09.09.2011 alogwith an affidavit stating that you 
have stopped pickling activity and also removed all the equipmemts related to 
the said activity i.e. ETP/ECS etc. Further, requested for revocation of closure directions.
Compliance from NDPL received stating that electricity has been disconnected.
Unit inspected on 23.09.2011, pickling activity found closed and facility of pickling found removed.  Only cold rerolling activity exist. 
	Decision taken by Scrutinizing Committee on 09.09.2011 / 12.09.2011 be reviewed in view of recent inspection conducted. Ask the compliance from DJB. Ask the unit to submit bank guarantee of Rs. One Lakh each under Air Act, Water Act and HWM Rules valid for one year. If unit submits the bank guarantee, electricity / water connection be restored for the change activity i.e. cold rerolling for which consent has been applied in the name of M/s Jagdamba Steel vide ID no 37443 dated 24.06.2011.
	CMC(Orange) meeting dated 05.10.2011 w.r.t. M/s Jagdamba Steel implemented. No action warranted in this meeting. 
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	Shalini Arora
	A-13
	DSIDC INDl. AREA, Nangloi
	Orange
	Mfg. of plastic goods and service station
	(1) CTE : Applied on 29.08.2007 vide ID no 23319
(2) CTO: Not Applied 
(3) CTO(R) : Not Applied
(4) Authorization under HWM Rules : Applied on 14.07.2008
(5) Date of Commissioning : OCT, 2007
(6) BUA : 200 sqm
(7) Water consumption: 1.2 KLD
(8) Ground Water :1.2 KLD
(9) Waste water discharge :
(a) Domestic effluent : 0.15 KLD 
(b) Trade effluent: 1 KLD
	Decision on 05.10.09
Inspection be conducted before decision on consent  application.
Decision on 23.03.2010
Issue SCN for refusal of consent and u/s 33(A) of the Water Act for closure of the unit.
Decision on 31.03.2011
Confirmation of closure directions.
	(1) ETP: No
(2) ECS: Not applicable
(3) D.G.Set: nil
(4) Inspection details: Conducted on 31.10.2009. during the inspection unit was found engaged in the activity reprocessing of plastic waste with washing instead of the activity mentioned in the CTE application. No ETP found installed, waste water directly discharged into the drain.
(5) SCN u/s 33(A)issued on 07.05.2010
(6) Closure directions u/s 33 (A) issued on 02.06.2011
Unit submitted its reply stated that no water connection / water storage facililty is available in premises. 
	Decision taken on file regarding inspection be ratified. 
	Inspection conducted on 19.10.2010 and unit found operating without ETP. Ask the compliance from discom  & DJB and also ask the SDM for effective closure of the unit.
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	Bhasin Plastic
	5/36 B
	Kirti  Nagar Indsutrial Area, Delhii
	orange
	Grinding of PVC/Plastic
	(1) CTE :Application dated 23.11.2009 has been refused on 20.09.2010 vide refusal no 2026.
Again applied for CTE on 16.09.2011 vide ID No 38107.
(2) CTO:Applied on 16.09.2011 vide ID no 38108.
(3) CTO(R) :Not applied 
(4) Authorization under HWM Rules :Not applied 
(5) Date of Commissioning : dec, 2009
(6) BUA : 50 sqm
(7) Water consumption: 200 LPD
(8) Ground Water :NIL
(9) Waste water discharge :
(a) Domestic effluent : 150 LPD
(b) Trade effluent: NIL
	Decision on 21.12.2009 / 22.12.2009
Inspection be conducted
Issue SCN for revocation of consent for concealment of the facts. Also ask the unit to provide channelization system & submit stack monitoring report from approved laboratory of DPCC.
Decision on 13.08.2010
Consent refused and issue SCN u/s 31(A) of the Air Act.
Decision on 31.03.2011
Confirmation of closure directions.
	(1) ETP: NA
(2) ECS: Channelization provided.   
(3) D.G.Set: Nil
(4) Inspection details:conducted on 11.03.2010, During the inspection following were observed: 
i) No channelization provied over the extruder machine.
(5) SCN u/s 31(A) issued on 21.09.2010
(6) Closure directions u/s 31(A) issued on 02.06.2011
No compliance report has been received from the DJB & NDPL.
Unit submitted its reply on 23.08.2011along with an affidavit for the rectification of deficiencies and photographs of channelzation system over extruder.
	In compliance of decision taken on file, unit has submitted bank guarantee of Rs. One Lakh under Air Act. However, the unit has applied for consent to establish and consent to operate along with the stack monitoring report during the period in which closure directions were in force. Therefore, the decision taken on file regarding revocation of closure directions be reviewed and ask the unit to submit additional bank guarantee of Rs. One Lakh under Air Act valid for one year with a warning not to operate in violation of the closure directions. If the unit submits the additional bank guarantee, closure directions be revoked. 
	Revoke closure directions. 
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	M.P. WORKS
	C-104, PHASE-II
	MANGOLPURI INDL AREA
	 
	Plastic container using fresh as well as 2nd grade plastic granules
	(1) CTE : (P) applied on 08.09.2011 Vide ID No. 38046
(2) CTO:
(3) CTO(R) :
(4) Authorization under HWM Rules :
(5) Date of Commissioning : 
(6) BUA : 
(7) Water consumption: 
(8) Ground Water :
(9) Waste water discharge :
(a) Domestic effluent : 
(b) Trade effluent: 
	 
	(1) ETP: N/A
(2) ECS: N/A
(3) D.G.Set: NIL
(4) Inspection details: Inspection of the unit was conduted on 22.01.2011.
Observations:
1. Unit found operating at Ground Floor, engaged in repairing of engine heads. Only engg. works carried out.
2. Another unit namely M/s M.P. works (Prop sh. Mohan Singh) found operating at First floor & second floor, engaged in mfg. of plastic containers using fresh as well as 2nd grade plastic granules. No ECS installed to control process emmision. Operating without CTE/CTO.
(5) SCN u/s 31(A) details : Issued on 07.04.2011.
Reply has been not received.
(6) Closure directions  u/s 31(A) details : Issued on 07.06.2011.
Reply has been not received.
	Ask the compliance from discom & DJB and ask the unit to confirm on an affidavit that it is non operational in compliance of closure directions failing which, SDM will be asked for the effective closure of the unit. 
	Reply along with photographs received from the unit. Ask the compliance from discom & DJB and also ask the SDM for effective closure of the unit.
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	Empire Safe Co.  (A unit for R.R.Builders & Furnishers Pvt. Ltd.)
	19, Furniture Block
	Kirti Nagar Industiral Area, Delhi
	Green
	Mfg. of steel and wooden almerha and furniture
	(1) CTE :Issued valid upto 17.06.2009 vide consent order no 18581.
(2) CTO:Applied on 05.03.2010 vide ID no. 33007 and same was refused on 19.04.2011.
(3) CTO(R) :Not applied 
(4) Authorization under HWM Rules :Not applied
(5) Date of Commissioning : May, 2008
(6) BUA : 437 sqm
(7) Water consumption: 400 LPD
(8) Ground Water :Nil
(9) Waste water discharge :
(a) Domestic effluent : 300LPD
(b) Trade effluent: Nil
	Decision on 06.05.2010 
Inspection be conducted.
Decision on 16.07.2010
Inspection be expedited
Decision on 07.10.2010
Issue SCN for refusal of consent.
Decision on 04.03.2011
Consent refused. Issue SCN u/s 31 (A) of the Air Actfor the clousre of the unit
	(1) ETP:N/A
(2) ECS: N/A
(3) D.G.Set:125 KVA (According to the inspection)
(4) Inspection details:Conducted on 27.07.2010, during the inspection one DG set of 125 KVA found installed with inadequate stack height.
(5) SCN for refusal of consent issued on 22.11.2010 and SCN u/s 31(A) and refusal of consent issued on 19.04.2011
(6) Closure directions  u/s 31(A) issued on 07.06.2011
Comlpinace reply recieved from NDPL on 01.08.2011 
A letter has been issued to the unit for the explaination of Mfg. activity and for confrmation regarding DG set.
	Letter dated 14.09.2011 issued administratively for seeking the clarification from the unit. Ask the compliance report from discom and DJB and ask the unit to confirm on an affidavit that it is non operational in compliance of closure directions failing which, SDM will be asked for the effective closure of the unit. 
	Inspection be conducted. 
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	Oriental Structural Engineers Pvt. Ltd
	DIAL Project, Near BCAS Office, LOD
	Guagoan Road Village, Mahipalpur
	 
	 
	(1) CTE :Issued on 17.11.2009
(2) CTO:Issued on 24.06.2010 to 16.07.2010
(3) CTO(R) :NA
(4) Authorization under HWM Rules :NA
(5) Date of Commissioning : March, 2010
(6) BUA : 150 sqm
(7) Water consumption: 5 KLD
(8) Ground Water :Nil
(9) Waste water discharge :
(a) Domestic effluent : 0.8 KLD
(b) Trade effluent: Nil
	Decision on 16.06.2010
Issue consent to operate valid for 8 months w.e.f. date of issue of consent to establish. 
	(1) ETP: Not applicable. 
(2) ECS: Yes. 
(3) D.G.Set: 500 KVA. 
(a) Noise monitoring report of 500 KVA dated17.02.2011 issued by GGSIU submitted and noise levels are within limit. 
(4) Inspection details:conducted on 28.02.2011.
(5) SCN u/s 31 (A) : Not issued.  
(6) Closure directions  u/s 31(A) issued on 07.06.2011 
Letter along with photographs received from unit and DIAL stated taht plant has been removed. 
	No action. 
	No action warranted in this meeting. 
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	ARORA STEEL
	C-7/2 (BACK SIDE)
	WAZIRPUR INDL AREA
	 
	S.S.Pickling and cold re-rolling
	(1) CTE :(P) vide id No. 25842 apllied on 26.05.08.
(2) CTO: (P) vide Id No. 16649 applied on 04.10.05.
(3) CTO(R) : R. No. 887  refused on 21.09.05
(4) Authorization under HWM Rules :
(5) Date of Commissioning : 
(6) BUA : 
(7) Water consumption: 
(8) Ground Water :
(9) Waste water discharge :
(a) Domestic effluent : 
(b) Trade effluent: 
	 
	
(1) Inspection details: inspection of the unit was conducted on 08.03.2011.
Obsrvations:
1. Unit found operating, engaged in S.S. pickling & Cold re-rolling.
2. ETP & ECS found installed but same are lying defunct. Dozing tanks are empty. 
Acidic fumes observed.
3. HWM Rules are not complied with.
4. BBorewell connection exist= 01 Nos.
(5) SCN u/s 31(A)/33(A)/5 of EPA details : Issued on 22.03.2011.
Reply has been received on 11.04.2011 alongwith an affidavit stating that they 
have rectified all the deficiencies obbserved during inspection.
(6) Inspection details: inspection of the unit was conducted on 13.05.2011.
Obsrvations:
1. UNit found operating enaged in S.S. pickling and cold re-rolling.
2. ETP & ECS found defunct. Filter press not connected with ETP. 
dozing tanks are totally dry & found filled with labour gloves.
3. HWM rules are not complied with.
4. Acidic fumes observed.
5. Borewell connection exist=01 nos.
6. Deficiencies obsrved earlier not removed.
(7) Closure directions  u/s 31(A)/33(A)/5 of EPA details : Issued on 08.06.2011.
Reply has not been received.
	Ask the compliance from discom  & DJB and also ask the SDM for effective closure of the unit. Issue reminder to MCD, DDA & COI. 
	Ask the compliance from discom  & DJB and also ask the SDM for effective closure of the unit. Issue reminder to MCD, DDA & COI. 
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	HARIANT STEEL
	C-10/2
	WAZIRPUR INDL AREA
	 
	S.S.Pickling and cold re-rolling
	(1) CTE :(Y) Vide C.No 12972 issued on 21.09.05, valid upto 20.09.06 
(2) CTO:(P) Vide ID No. 21207 applied on 03.05.07
(3) CTO : Not Applied
(4) Authorization under HWM Rules :
(5) Date of Commissioning : 
(6) BUA : 
(7) Water consumption: 
(8) Ground Water :
(9) Waste water discharge :
(a) Domestic effluent : 
(b) Trade effluent: 
	 
	(1) Inspection details: Inspection of the unit was conducted on 08.03.2011:
Observations:
1. Unit found operating engaged in S.S. pickling & cold re-rolling.
2. At the time of inspection pickling work was not carried out however, 
ETP & ECS are lying in defunct condition. Filter press lying defunct & 
not connected with the settling tank. No wet sludge seen. Dozing tanks are empty.
3. HWM Rules are not complied with.
4. Bore Well connection exist= 01 nos.
(2) SCN u/s 31(A)/33(A)/5 of EPA details : Issued on 21.03.2011.
Reply has been received on 11.04.2011 alongwith an affidavit stated 
that you have rectified all the deficiences observed during inspection.
(6) Inspection details: Inspection of the unit was agin conducted on 13.05.2011.
observations:
1. Unit found operating, engaed in S.S Pickling & cold rolling.
2. ETP & ECS found defunct. conical settling tank & dozing tanks
 are totally dry and empty.
3. Filter press not connected with ETP.
4. Deficiencies as observed earlier are still exist.
5. HWM Rules are not complied with.
6. ECS found broken by pass.
7. Bore well connection exist= 01 nos.
(3) Closure directions  u/s 31(A)/33(A)/5 of EPA details : Issued on 08.06.2011.
Reply has been not received.
	Ask the compliance from discom  & DJB and also ask the SDM for effective closure of the unit. Issue reminder to MCD, DDA & COI. 
	Ask the compliance from discom  & DJB and also ask the SDM for effective closure of the unit. Issue reminder to MCD, DDA & COI. 
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	D.D. Knitwear
	C-153, Phase-II
	Mayapuri Industrial Area, Delhi
	Orange
	Mfg. of Hosiery goods with washing.
	(1) CTE :Applied on 12.08.2010 vide ID no. 34835 under Green category in the activity of Mfg of hosiery goods without washing/ bleaching/ trade effluent.
Again applied for CTE on 24.02.2011 vide ID no 36547 under Orange category in the activity of Mfg. of hosiery good with washing.
(2) CTO:N/A
(3) CTO(R) :N/A
(4) Authorization under HWM Rules :N/A
(5) Date of Commissioning : Oct, 2010
(6) BUA : 300 sqm
(7) Water consumption: 1.0 KLD
(8) Ground Water :1.0 KLD
(9) Waste water discharge :
(a) Domestic effluent : 500 LPD
(b) Trade effluent: Nil
	Decision on 05.10.2010 (Green)
Inspection be conducted
Decision on 30.12.2010 (Green)
Issue SCN for refusal of consent and SCN u/s 31 (A) of the  Air Act & u/s 33 (A) of the Water Act.
Decision 31.03.2011 (Orange)
File be put up administratively
	(1) ETP: Not installed. 
(2) ECS: Not applicable. Boiler with inadequate stack. 
(3) D.G.Set: Nil
(4) Inspection details:Inspection conducted on 07.12.2010 but unit did not allow to inspect the unit.
(5) SCN u/s 31(A)/33(A) and SCN for refusal details :Issued on 31.01.2011
(6) Closure directions  u/s 33(A) details :Issued on 08.06.2011
	Ask the compliance from discom & DJB and also ask the SDM for effective closure of the unit.
	Ask the compliance from discom & DJB and also ask the SDM for effective closure of the unit.
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	Tiya Industries
	A-28, phase-I
	Mayapuri Industrial Area, Delhi
	Orange
	Mfg. of elastic rail clips
	(1) CTE : Not Applied
(2) CTO: Issued valid upto 12.04.2007 vide Consent order no 11063.
(3) CTO(R) : Applied for CTO_R twice on 11.04.2007 & 05.05.2010 vide ID no 21024 & 33758 respectively.
(4) Authorization under HWM Rules :NA
(5) Date of Commissioning : 1992
(6) BUA : 200 sqm
(7) Water consumption: 0.3 KLD
(8) Ground Water :Nil
(9) Waste water discharge :
(a) Domestic effluent :0.25 KLD
(b) Trade effluent:nil KLD
	Decision on 26.07.2010
Inspection be expedited.
Decision on 09.11.2010
Issue SCN u/s 31 (A) of the Air Act.
Decision on 31.03.2011
Confirmation of closure directions. 
	(1) ETP: NA
(2) ECS: No
(3) D.G.Set:62.5 KVA
(a) Noise monitoring report of 62.5 KVA dated16.04.2010 issued by DPCCsubmitted and noise levels are within limit / beyond limit. 
(4) Inspection details: conducted on 03.08.2010, during the inspection following were observed:
i) Unit has not installed emissions control system/channelization system due to which lot of emissions generated from the process is discharge directly without channelization.
ii) The ducting over furnace found broken & the shed over the bhatties found in broken condition.
(5) SCN u/s 31 (A) issued on 22.02.2010
(6) Closure directions 31(A) of the Water Act details : 08.06.2011
No compliance report has been received from DJB & BSES.
Unit submitted its representation on 02.08.2011 along with an affidavit and photographs of channelization throungh hood and suction arrangement with stack height of 2.5 m above the roof level.
	Ask the compliance from discom & DJB. Also ask the unit to submit bank guarantee of Rs. One Lakh under Air Act valid for one year. If unit submits the bank guarantee, closure directions be revoked. 
	Ask the compliance from discom & DJB. Also ask the unit to submit bank guarantee of Rs. One Lakh under Air Act valid for one year. If unit submits the bank guarantee, closure directions be revoked. 
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	Plastic Gulla making 
unit, 

Sh. Babul (Proprieter)
	A-145,Sec-2
	Bawana
 Industrial 
Area
	 
	Plastic 
Gulla
	(1) CTE :Not Applied
(2) CTO:Not Applied
(3) CTO(R) :Not Applied
(4) Authorization under HWM Rules :No
(5) Date of Commissioning :unknown
(6) BUA : 100 Sq mt
(7) Water consumption: :unknown
(8) Ground Water ::unknown
(9) Waste water discharge :
(a) Domestic effluent : :unknown
(b) Trade effluent::unknown
	none
	(1) ETP: no
(2) ECS:  no
(3) D.G.Set: nil
(4) Inspection details: Inspection conducted on 13.11.2010
-Unit was found engaged in work of making of plastic gulla by using cement plastic bag as raw material.mmmmmmm
-Unit operatinmg the activity inm mthe basement and having one horizontal gulla making machine.
-The plastic waste is being used as a fuel in the machine.
-Premises on rent 9informmmmed by Mr. Babul.
 (5) SCN u/s 31(A)and 33(A) : no
(6) Closure directions  u/s 31(A)    : Issued on 09.06.2010.
      Reply from NDPL receieved statiting that electricity has been disconnected.
The landlord of the premises has submitted a letter along with affidavit stating that M/s Babul was my tenant and now the premsies is vacant and requested to restore the electricity / DJB. 
	Ask the compliance from discom  & DJB. Also ask the landlord to submit a bank guarantee of Rs. One Lakh valid for one year to the effect that no industrial unit without the prior consent of DPCC will be allowed in the premises. 
	Ask the compliance from DJB. Also ask the landlord to submit a bank guarantee of Rs. One Lakh valid for one year to the effect that no industrial unit without the prior consent of DPCC will be allowed in the premises. Also inform to NDPL that new electricity connection be given to the new unit M/s Eagle Enterprises who has obtained the consent to establish from DPCC. 
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	24925
	12.02.2008
	DADU AQUA DRINK PVT. LTD
	A-178, DSIDC, PHASE-I
	NARELA INDL AREA
	 
	Packaging of drinking water.
	(1) CTE : (Y) C.No. 17613 issued on 14.01.2006 valid upto 13.11.2007.
(2) CTO: (R) Refusal No. 2121 dated 15.06.2011.
(3) CTR: Not Applied.
(4) Authorization under HWM Rules :
(5) Date of Commissioning : 2006.
(6) BUA : 350 sq mtrs.
(7) Water consumption: 8.5 kl/day 
(8) Ground Water : 8.5 KLD.
(9) Waste water discharge :
(a) Domestic effluent : 0.4 kl/day
(b) Trade effluent: Nil
	 
	(1) ETP: Installed
(a) AR dated 29.08.2011 issued by D.T.U. submitted. 
(b) Effluent analysis report dated ………….issued by Not submitted.
(c) ..........number of parameters analyzed which are within limit / beyoud prescribed limit. 
(2) ECS: N/A 
(3) D.G.Set: NIL
(4) Inspection details: Inspection of the unit was conducted on 23.11.2010.
Observations:
1. Unit is found in operation and engaed in mfg. of soda, soft drinks and packaged drinking water.
2. Unit has one oil fired boiler placed at top floor.
3. No ETP provided to treat the trade effluents.
(5) SCN u/s 31(A) details : Issued on 16.03.2011 & SCN for refusal of consent 
was sent on 16.03.2011.
Reply has been received on 15.04.2011 alonwith an affidavit stating that you
 shall obtain the report of boiler, industrial water shall be used used in flush 
and horticulture porpose for plants, there shall be no trade effluent discharge 
and also applied for consent to establish.
(6) Closure directions  u/s 31(A) details : Issued on 15.06.2011.
Reply has been received on 01.08.2011 stating that they are in 
process of installation of ETP for soft drink, soda water & packaged 
drinking water manufacturing unit. Further, the unit informed in its reply
 that the work of ETP installation will be completed in one month time.
Reply has been received on 02.09.2011 alongwith the Adequacy report and
 photograph of ETP stating that completed the work of installation of ETP.
Compliance from NDPL has been received and stating that electricity has been disconnected. 
	Ask the compliance from DJB and also ask the unit to submit the bank guarantee of Rs. One Lakh each under Air Act & Water Act valid for one year. If unit submits the bank guarantee, closure directions be revoked with a direction to apply for consent to operate along with the all requisite monitoring reports within 30 days. 
	Ask the compliance from DJB and also ask the unit to submit the bank guarantee of Rs. One Lakh each under Air Act & Water Act valid for one year. If unit submits the bank guarantee, closure directions be revoked with a direction to apply for consent to operate along with the all requisite monitoring reports within 30 days. 
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	A.V. METAL INDUSTRIES
	A-75/2
	WAZIPUR INDL AREA
	 
	pickling & re-rolling of S.S. Sheets.
	(1) CTE : (P) Vide ID No. 24193 applied on 13.01.07
(2) CTO: (Y) Vide C.No. 11755 issued on 20.09.04 valid upyo 28.07 07
(3) CTO(R) : R.No. 1672 refused on 14.09.07
(4) Authorization under HWM Rules :
(5) Date of Commissioning : 1997
(6) BUA : 250 sq mtrs.
(7) Water consumption: 4080 ltr/day
(8) Ground Water : 4000 ltr/day
(9) Waste water discharge :
(a) Domestic effluent : 75 ltr/day
(b) Trade effluent: 4000 ltr/day
	 
	(1) Inspection details: Inspection of the unit was conducted on 05.03.2011.
Observations:
1. Unit found operating, engaged in S.S pickling & cold re-rolling.
2. ETP & ECS found installed. ETP was not in operation. Filter press lying defunct. 
A worker is trying to put the chemicals in chemical dozingtank after seeing the 
inspection team. No wet sludge seen. Waste Water discharges without treatment.
3. HWM Rules are not complied with.
4. ECS was not working properly. Scrubbing system was out of order.
5. Borewell connection exist= 01 nos.
(2) SCN u/s 31(A)/33(A)/5 of EPA details : Issued on 28.03.2011.
Reply has been received on 11.04.2011 alongwith an affidavit stating that 
they have rectified all the deficiencies observed during inspection.
(6) Inspection details: Inspection of the unit was conducted on 26.05.2011.
Observations:
1. Unit found operating, engaged in S.S pickling & cold re-rolling.
2. ETP & ECS found non functional. Filter press lying defunct. No wet sludge seen. 
Scrubbing system of ECS non functional. 
3. Borewell connection exist= 01 nos.
4. Deficiencies observed earlier, have not found removed yet.
(3) Closure directions  u/s 31(A)/33(A)/5 of EPA details : Issued on 15.06.2011.
Reply has been received on 24.08.2011 stating that they have stopped their activity for the time being.
Compliance received from NDPL stating that electricity has been disconnected. 
	Ask the compliance from DJB and ask the unit to confirm its reply on an affidavit stating that it is non operational in compliance of closure directions, failing which, SDM will be asked for effective closure of the unit. Issue reminder to MCD, DDA & COI. 
	Compliance received from NDPL. Reply received from the unit. Ask the compliance from DJB and also ask the SDM for effective closure of the unit. Issue reminder to MCD, DDA & COI. Also inform to the unit that it should apply for consent to establish for starting any new activity permissible as per MPD-2021. 
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	Dyeing and Washing of Jeans & Fabric Unit
	B-23, Top Floor
	Lawrence Road Indl. Area
	 
	Dyeing and Washing of Jeans & Fabric with LDO Boiler
	 
	 
	Inspection details : inspected on 11.12.2010 and it was found that hazardous waste mangement guidelines were not being followed.  
SCN u/s 31(A) of the Air Act, u/s 33(A) of the Water Act and u/s 5 of EPA issued on 11.01.2011.
Reply received on 15.02.2011 and informed that they are in process for complying all the compliance related to Hazardous Wasste Management Rules.   
Direction for closure u/s 31(A) of the Air Act, 33(A) of the Water Act and u/s 5 of the EPA Act on 16.06.2011
No reply received.  
	Ask the compliance from discom  & DJB and also ask the SDM for effective closure of the unit. 
	Ask the compliance from discom  & DJB and also ask the SDM for effective closure of the unit. 
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	COLOURMAN
	B-52, II FLOOR (TOP)
	LAWRENCE ROAD INDUSTRIAL AREA
	 
	Dyeing & washing of Jeans
	(1) CTE : Applied on 01.07.2011 Vide Id.No.37502.
(2) CTO:
(3) CTO(R) :
(4) Authorization under HWM Rules :
(5) Date of Commissioning : 
(6) BUA : 
(7) Water consumption: 
(8) Ground Water :
(9) Waste water discharge :
(a) Domestic effluent : 
(b) Trade effluent: 
	 
	(1) Inspection details: Inspection of the unit was conducted on 11.12.2010.
Obsrvations:
1. Unit found operating, engaed in dyeing and washing of jeans.
2. No ETP installed, waste water is being discharged directly into drain.
3. No HWM Rules are complied with.
4. Cold fired boiler body lyeing defunct & dismantled.
(2) SCN u/s 31(A)/33(A)/5 of EPA details : Issued on 12.01.2011.
Reply has been received on 03.02.2011 alongwith an affidavit where they 
have requested for revocation of SCN, stating that they have stopped there
 activity, installed ETP, applied for authorization uner HWM and requested
 for 45 days time for CTE& CTO, Adequecy report.
(3) Inspection details: Inspection of the unit was conducted on 03.06.2011.
Obsrvations:
1. Unit found operational and engaed in activity of dyeing and washing of jeans.
2. No ETP was installed.
3. No HWM Rules are complied with.
4. Deficiencies observed durin last inspection were found as it is without any rectification.
(6) Closure directions  u/s 31(A)/33(A)/5 of EPA details : Issued on 22.06.2011.
Reply has been received on 01.07.2011 stating that due to ill health he couldn't 
apply for CTE & CTO, ETP has been installed, applied for ananlysis and adequecy
 report to D.T.U. Further, requested to revoke the closure directions.
Reply has been again received on 11.07.2011 requesting for revocation
 of closure directions & stating that applied for CTE.
As per the deciion taken up by Competent Authority letter for 
Bank Guarantee was sent on 19.08.2011.
Reply has not been received.
	Ask the compliance from discom  & DJB and also ask the SDM for effective closure of the unit as unit has failed to respond the letter dated 19.08.2011 issued in pursuance of decision taken on file. 
	Ask the compliance from discom  & DJB and also ask the SDM for effective closure of the unit.
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	The Host
	,G-16 & 18
	Udyog Nagar 
Industrial Area
	 
	Party Lawn
	Not Applied
	 
	(1) ETP: No
(2) ECS:No
(3) D.G.Set: 40 KVA
(4) Inspection details: Conducted on 26.05.2011. During the inspection following were observed:
i) No ETP installed to treat the effluent gnerated from washing of utensils.
ii) No channelisation system found installed to control the emission from the tandoor/ bhatties.
iii) One DG set of 40 KVA found installed without acoustic enclosure and inadequate stack height.
(5) SCN u/s 31(A) & u/s 33 (A)  issued on 01.07.2011.
(6) Closure directions  u/s 31(A) & u/s 33 (A) issued on 17.08.2011.
No reply received.
	Ask the compliance from discom  & DJB and also ask the SDM for effective closure of the unit.
	Ask the compliance from discom  & DJB and also ask the SDM for effective closure of the unit.
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	Alert International
	F-1
	Udyog Nagar 
Industrial Area
	Orange
	Mfg. of PVC compound & PVC belt shoe sole
	(1) CTE :Issued valid upto 16.05.2007 vide consent order no. 14615 in the activity of Mfg. of fresh PVC compound & PVC belt shoe sole.
(2) CTO:Applied on 16.05.2007 vide ID no 21352
Another CTO: Applied on 14.05.2010 vide ID no. 33873 and same was refused on 23.06.2011.
(3) CTO(R) :Not applied
(4) Authorization under HWM Rules :N/A
(5) Date of Commissioning : March, 2006
(6) BUA : 1080 sqm
(7) Water consumption: 0.2 KLD
(8) Ground Water :Nil
(9) Waste water discharge :
(a) Domestic effluent :0.16 KLD
(b) Trade effluent: Nil
	 
	(1) ETP: N/A
(2) ECS: No
(3) D.G.Set: 82.5 KVA (According to the inspection)
(4) Inspection details:Conducted on 19.11.2010 during the inspection following were observed:
i) No Pollution control measures have been taken for the process emission generated from the mixing machine.
ii) One D.G set of 82.5 KVA found installed without acoustic enclousre and inadequate stack height.
(5) SCN u/s 31(A) and SCN for refusal of consent details :Issued on 29.03.2011.
(6) Closure directions  u/s 31(A) and refusal of consent details : Issued on 23.06.2011.
Unit submitted its reply along with an affidavit on 02.08.2011.
	Matter being put up administratively.
	Unit has failed to respond the letter dated 28.09.2011. Ask the compliance from discom  & DJB and also ask the SDM for effective closure of the unit.
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	36371
	01.02.2011
	POOJA INDUSTRIES
	B-11, DSIDC COMPLEX, PHASE-I
	MANGOLPURI INDL AREA
	RENEWAL
	Plastic moulded items.
	(1) CTE :(Y) Vide C.No. 5481, issued on 16.06.03 valid upto 02.06.11.
(2) CTO: (Y) Vide C.No. 11028 issued on 13.07.04 valid upto 07.06.07.
(3) CTO: (P) Vide Id No. 36371 applied on 01.02.11. 
(4) Authorization under HWM Rules :
(5) Date of Commissioning : 2007
(6) BUA : 84 sq mtr
(7) Water consumption: 0.2 kl/day
(8) Ground Water : Nil.
(9) Waste water discharge :
(a) Domestic effluent :0.1 kl/day. 
(b) Trade effluent: Nil
	08.04.2011
Decision taken on file regarding issueuance of the SCN u/s 31 (A) of the Air Act ratified. Further the unit has not responsed to aforesaid notice, therefore directions for closure be confirmed. A letter be issued to the C.A for conformation of the fact with a copy to the unit so that further action as per law may be initiated.
	
(1) Inspection details: Inspection of the unit was conducted on 11.11.2010.
Observations:
1. Unit is engaged in mfg. of plastic moulded items.
2. No measure taken to channelise the trade emissions generated 
during mfg. of plastic moulded items.
(2) SCN u/s 31(A) details : Issued on 08.03.2011.
Reply has not been received.
(3) Closure directions  u/s 31(A) details : Issued on 24.06.2011.
Reply has been received on 30.06.2011 alongwith an affidavit & photo 
graph stating that they have applied for CTE/CTO on 01.02.2011 & 
rectified all the deficiencies.
 As per the decision taken up by Competent Authority letter for Bank 
Guarantee was sent on 26.08.2011.
Reply has not been received.
	Ask the compliance from discom & DJB and ask the unit to submit the response of this office letter dated 26.08.2011 along with an affidavit that unit is non operational in compliance of closure directions failing which, SDM will be asked for the effective closure of the unit and consent will be refused. 
	Compliance from NDPL received and unit has submitted its reply for rectification of deficiencies along with bank guarantee of Rs. One Lakh. Closure directions be revoked.
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	MANISH INDUSTRIES
	A-83
	WAZIPUR INDL AREA
	 
	S.S. Pickling & cold Re-Rolling.
	(1) CTE : (P) applied on 14.12.2007 Vide ID No. 24489.
(2) CTO: (P)  applied on 11.01.2005 Vide ID No. 12423.
(3) CTO: (P)  applied on 11.01.2008 Vide ID No. 24735.
(4) Authorization under HWM Rules : 
(5) Date of Commissioning : 
(6) BUA :
(7) Water consumption: 
(8) Ground Water :
(9) Waste water discharge :
(a) Domestic effluent : 
(b) Trade effluent: 
	 
	 (1) Inspection details: Inspection of the unit was conducted on 28.03.2011.
Observations:
1. Unit fopund engaged in S.S. pickling and cold re-rolling. However 
functioning of ETP & ECS, Compliance of HWM Rules could not 
be assessed as the proprietor of the unit has stooped its working in 
the premises & just was to leave the premises at the time of reaching the 
inspecting team at about 6:60 pm.
2. Proprietor has further requested to revisit on any other day.
(2) Inspection details: Inspection of the unit was conducted on01.04.2011.
observations:
1. Unit found operating, engaged in S.S. Pickling and cold re-rolling.
2. ETP found installed but not working properly. Filter press is found dry. No wet sludge seen.
3. ECS found installed but same is not working properly. Scrubber system is lying defunct.
4. HWM Rules are not complied with properly.
5. Borewell connection exist= 01 nos.
(3) SCN u/s 31(A)/33(A)/5 of EPA details : Issued on 18.04.2011.
Reply has been received on 02.05.2011 alongwith an affidavit stating that they 
have rectified all the deiciencies.
(4) Inspection details: Inspection of the unit was conducted on 26.05.2011.
observations:
1. Unit engaged in S.S. Pickling and cold re-rolling. ETP & ECS found 
non functional. Filter press lying defunct.
2. Deficiencies as observed earlier have not been removed yet even 
the stack attached with ECS found broken.
3. Wet scrubbing system also lying defunct.
4. No wet sludge seen.
5. HWM Rules are not complied with properly.
6. Acidic fumes observed.
7. Borewel connection exist= 01 nos.
(5) Closure directions  u/s 31(A)/33(A)/5 of EPA details : Issued on 27.06.2011.
Reply has not been received.
	Ask the compliance from discom  & DJB and also ask the SDM for effective closure of the unit. Issue reminder to MCD, DDA & COI. 
	Ask the compliance from discom  & DJB and also ask the SDM for effective closure of the unit. Issue reminder to MCD, DDA & COI. 
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	Y. C Kurele/ Bulbul Resorts & Hotel
	 59/18, Main Rohtak Road,
	Mundka, Delhi
	Orange
	Hotel
	(1) CTE :Applied for CTE on 11.12.2008 and the application made refused on 27.06.2011 vide refusal no 2179.
(2) CTO: Not Applied 
(3) CTO(R) : Not Applied
(4) Authorization under HWM Rules : Not Applied
(5) Date of Commissioning : 01.02.2009
(6) BUA : 10787.73 sqm
(7) Water consumption: 80 KLD
(8) Ground Water : nil
(9) Waste water discharge :
(a) Domestic effluent : 0.1 KLD
(b) Trade effluent: 80 KLD
	12.06.2009
SIT-II to inspect & Report
16.04.2010
Call for personal hearing on 12.05.2010 at  5 PM
12.05.09
One representative of the unit appeared before the committee and handed over a letter informing that the concerned representative who is looking after the statutory requirements is on leave and requested to extend the date of hearing for the first week of June, 2010. It has decided that deficiencies noted during the SIT inspection be communicated to the unit for corrections and confirmation on an affidavit. Also ask the unit to apply for consent to operate at the time of commissioning of the project. 
Decision on 05.08.2010
Issue SCN for refusal of consent.
Decision on 31.03.2011
Issue SCN u/s 31(A) of the Air Act and u/s 33(A) of the Water Act in view of the findings of the inspection conducted.
	(1) ETP: No
(2) ECS:No
(3) D.G.Set: 40 KVA
(a) Noise monitoring report : not submitted
(4) Inspection details: conducted on 03.03.2011. during the inspection following were observed:
i) STP found non-operational. Same was found flooded with sewage in the basement/ underground.
ii) No solar Energy utilization facilities installed at site.
iii) No oil & grease trap provided prior to Rain water harvesting pits (2 nos.).
iv) No hood duct provided with filters to channelize smoke/ emission generated from kitchen. Only exhaust fans (2 nos.) installed. 
v) Tandoors are fired in open area without channelization system.
(5) SCN u/s 31(A) & u/s 33 (A) issued on 18.05.2011
(6) Closure directions  u/s 31(A) & u/s 33 (A) & REfusal of consent issued on 27.06.2011.
Reminder letter issued to SDM, DJB & BSES on 05.08.2011. 
A letter has been received from the SDM (Punjabi Bagh) stating that as per revised guidelines MCD has been assigned the role of sealing of industries. 
	Ask the compliance from discom, DJB. Also issue letter to MCD for cancellation of permission for holding the commercial functions. Ask compliance from SDM also enclosing the minutes of Chief Secretary meeting dated 14.07.2011. 
	Reply along with affidavit & photographs received for rectification of the deficiencies. Ask the unit to submit bank guarantee of Rs. One Lakh each under Air Act and Water Act valid for one year. If unit submits the bank guarantee, closure directions be revoked with the directions to submit adequacy report of ETP from empanelled consultant of DPCC and to apply for consent to establish and consent to operate. Subsequently, inspection be conducted within 03 months.  
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	_
	_
	Hotel Blue Sapphire
	33351-54, Christain Colony
	 
	_
	Hotel 23 Rooms with 34 Beds and Dinning Hall
	(1) CTE : Not applied
(2) CTO: not applied
(3) CTO(R) : not applied
(4) Authorization under HWM Rules :N/a
(5) Date of Commissioning : -
(6) BUA : -
(7) Water consumption: -
(8) Ground Water :-
(9) Waste water discharge :
(a) Domestic effluent : -
(b) Trade effluent: -
	 
	(1) ETP: Not installed ( as per inspection report)
(2) ECS: No proper channelization provided. 
(3) D.G.Set: 45 Kva ( as per inspection report)
(a) Noise monitoring report of Not submitted.  
(4) Inspection details: The unit was inspected on 18.04.11 w.r.t a public complaint and following were observed:-
a) The unit is found operational & engaged in activity of Hotel 23 Rooms with 34 Beds and Dinning Hall. 
b) No ETP has been installed.
c) No Oil & Grease trap has been found & effluent directly discharged into the sewer.
d) No proper channelization has been provided.
e) MCD & police license shown at the time of inspection
(5) SCN u/s 31(A) & 33(A) details : issued on 11.05.11
(6) Closure directions  u/s 31(A) & 33(A) details : issued on 28.06.11. Since, no reply received from the unit within stiplated time.
Advocate of the unit submitted its reply on 13.07.11, 14.07.11 & 25.07.11 stating that there is no kitchen only a small pantry is there only for staff. No lunch and dinner is served to the guests. No Restaurant is being run in the said building. 
BSES has informed vide its letter dated 14.09.2011 that BSES has not disconnected the power supply and requesting for deputing police force for disconnection of electricity in view of resistence by Sh. Naresh Kumar (user).
No complaince received from concerned 
authorities i.e MCD & DJB.
	Ask the compliance from DJB & MCD and also ask the SDM for effective closure of the unit with a copy of the standards being prescribed by DPCC in such cases in view of the notification of Govt. of India dated 04.11.2009. Also BSES be requested to comply with the directions of disonnection of electricity requesting the help from the local police authorities. 
	Ask the compliance from DJB & MCD and also ask the SDM for effective closure of the unit with a copy of the standards being prescribed by DPCC in such cases in view of the notification of Govt. of India dated 04.11.2009 to the unit. Also BSES be requested to comply with the directions of disonnection of electricity taking the help of the SDM and local police authorities.  
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	JEANS DYEING UNIT (PROP. SANJAY BANSAL)
	B-67
	LAWRENCE ROAD INDUSTRIAL AREA
	 
	Dyeing, Washing, and Bleaching of jeans. 
	 
	 
	(1) Inspection details: Inspection of the unit was conducted on 27.11.2010.
Observations:
1. Unit found operating, enaged in dyeing, washing and bleaching of jeans 
using coal fired boiler.
2. No ETP found installed & waste water is being discharged into 
drain/ open land at backside railay line.
3. No HWM Rules are complied with.
4. Unit booked as the black smoke from coal fired boiler seen
 during are visit (opposite B-45 premises).
5. D.G set 125 KVA found without acoustic & inadequate stack height.
(2) SCN u/s 31(A)/33(A)/5 of EPA details : Issued on 04.02.2011.
Reply has not been received.
(3) Inspection details: Inspection of the unit was conducted on 03.06.2011.
Observations:
1. Unit found operating, enaged in dyeing, washing and bleaching of jeans.
2. No ECS with coal fired boiler provided.
3. No HWM Rules are complied with.
4. No ETP provided to treat the trade effluent.
5. No acoustic enclosures & adequate stackl height provided for 
D.G. set of 12.5 KVA placed on top floor of the premises.
6. No hood & suction arrangement provided to channelize the emissions 
generated during spray painting of chemical on jeans.
(4) Closure directions  u/s 31(A)/33(A)/5 of EPA details : Issued on 30.06.2011.
Reply has not been received
	Ask the compliance from discom  & DJB and also ask the SDM for effective closure of the unit.
	Ask the compliance from discom  & DJB and also ask the SDM for effective closure of the unit.
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	RAVINDER SINGHAL
	B-60 GROUP
	WAZIRPUR INDL AREA
	 
	S.S.Pickling and cold re-rolling
	(1) CTE :
(2) CTO:
(3) CTO(R) :
(4) Authorization under HWM Rules :
(5) Date of Commissioning : 
(6) BUA : 150 sqmtr
(7) Water consumption: 
(8) Ground Water :
(9) Waste water discharge :
(a) Domestic effluent : 
(b) Trade effluent: 
	28.05.2009
Time allowed for one month. Call on 15.07.2009.
	(1) Inspection details: Inspection of the unit was conducted on 02.04.2011.
obsrvations:
1. Pickling unit namely M/s Shri Mahalaxmi Steel has been closed and no related plant and machinary exist. As reported the unit was tenant and same has been closed since last 6 months. hazardous waste also took away while shifting to unknown place as reported.
2. Other 3 unit found operating as per given below details:
a). Buffing unit owned by Mr. Sanjay Goel & Vijay Goel without ECS & witout Consent. Process emission observed during buffing of S.S. Kitchen accessories- 2 buffing machines, one belt grinder & other machines. 
b). rollin (Cold re-rolling) unit owner Shri Sushil Singhal. Consent status not reported.
c). Plastic injection moulding unit owned by Shri Ravinder Singhal. No ECS/Channelisation provided. No Consent obtained.
(2) SCN u/s 31(A) details : Issued on 20.05.2011.
Reply has not been received.
(3) Closure directions  u/s 31(A) details : 12.07.2011.
Reply has not been received.
	Ask the compliance from discom  & DJB and also ask the SDM for effective closure of the unit. Issue reminder to MCD, DDA & COI. 
	Ask the compliance from discom  & DJB and also ask the SDM for effective closure of the unit. Issue reminder to MCD, DDA & COI. 
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	SHREE SHYAM STEEL
	A-113/1
	WAZIRPUR INDL AREA
	 
	Pickling and cold re-rolling
	(1) CTE : (P) applied on 18.03.2008 Vide ID No.25219
(2) CTO: (P) applied on 21.03.2005 Vide ID No. 13116
(3) CTR : (P) applied on 29.05.2008 Vide ID No. 25881
(4) Authorization under HWM Rules :
(5) Date of Commissioning : 
(6) BUA : 
(7) Water consumption: 
(8) Ground Water :
(9) Waste water discharge :
(a) Domestic effluent : 
(b) Trade effluent: 
	 
	(1) Inspection details: Inspection of the unit was conducted on 25.03.2011.
Observations:
1. Unit found operating, engaged in S.S. Pickling and cold re-rolling.
2. ETP found installed & found in working condition. Wet sludge seen.
3. ECS found installed but same is not working properly.
4. Scrubbing system is lying defunct. Acidic fumes observed.
5. D.G. set 125 KVA found without acoustic and inadequate stack height.
6. HWM Rules are complied with.
7. Borewell connection exist=01 nos.
(2) SCN u/s 31(A)/33(A)/5 of EPA details : Issued on 02.05.2011.
Reply has been received on 12.05.2011 alongwith an affidavit stating that they have rectified all the deficiencies observed during inspection. Further, requesting to withdraw the propoed direction. 
(3) Inspection details: Inspection of the unit was conducted on 10.06.2011.
Observations:
1. Unit found operating, engaged in S.S. Pickling and cold re-rolling.
2. Deficiencies as observed earlier w.r.t ECS, found removed now ECS found operational. But ETP was lying defunct. Also filter press found in defunct condition. HWM Rules are not complied with properly. No wet sludge seen. Ladder facility to access the ETP found improper & it is very dificult to acess the ETP.
3. Accoustic work for D.G Set is in progress.
4. Borewell connection exist=01 nos.
(4) Closure directions  u/s 31(A)/33(A)/5 of EPA details : Issued on 12.07.2011.
Matter subjudice. Court directed that closure order dated 12.07.2011 to NDPL, DJB & MCD be not enforced. A fresh inspection is to be carried out. Next date of hearing on 30.09.2011. 
	Matter subjudice. Inspection yet to be conducted. 
	Matter be expedited for vacation of the stay. 
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	BABY ENTERPRISES
	A-64 (GROUP),IIIRD FLOOR (BACKSIDE)
	WAZIRPUR INDL AREA
	OPERATE
	Buffing of S.S. utensils.
	(1) CTE : (Y) Vide C.No. 22697 issued on 28.01.10 valid upto 27.01.11
(2) CTO: (Y) Vide C.No. 22698 issued on 28.01.10 valid upto 11.10.12
(3) CTO(R) :
(4) Authorization under HWM Rules :
(5) Date of Commissioning : May 2008
(6) BUA :350 sq mtr 
(7) Water consumption: 20 ltr/day
(8) Ground Water :Nil
(9) Waste water discharge :
(a) Domestic effluent : Nil
(b) Trade effluent:Nil
	 
	(1) Inspection details: Inspection of the unit was conducted on 14.06.2011.
Observations:
1. Unit is engaged in the activity of buffing on S.S. Utensils.
2. Emission Control Sysytem has been provided with the buffing m/c
 but the same was not working properly as fugitive emissions observed.
3. The buffing activity is being conducted on top floor of the premises.
4. The second floor of the premises is being used by M/S Batra Industries
 having valid consent upto 06.11.2018.
5. The first floor of the premise sis being used by Sh. Birender Choudhary 
and the unit name is chaudhary Auto and is enaged in the activity of PVC 
pipe from fresh granules and no channelization provided to halnnelise 
the emissions.
6. The ground floor of the premises is being used by M/s Vishal Industry 
engaged in the activity of S.S. Rolling.
(5) SCN for revocation details : Issued on  18.12.2010.
Reply has not been received.
(6) Closure directions  u/s 31(A) details : Issued on 15.07.2011
Reply has not been received.
	Compliance from discom and DJB asked on 20.09.2011.  Ask the SDM for effective closure of the unit.
	Issue reminder to discom and DJB for compliance.  Ask the SDM for effective closure of the unit.
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	_
	_
	 M/s Krishna Overseas.
	D-21/1, Phase-I
	OKHLA INDUSTRIAL AREA
	_
	Mfg. of Readymade Garments including washing
	(1) CTE : not applied
(2) CTO: not applied
(3) CTO(R) : not applied
(4) Authorization under HWM Rules : not applied
(5) Date of Commissioning : -
(6) BUA : 
(7) Water consumption: 
(8) Ground Water :
(9) Waste water discharge :
(a) Domestic effluent : 
(b) Trade effluent: 
	          31.03.11
 ( In file of M/s WEAR WELL, D-21/1, Phase-I, OIA, same premises)
Revoke consent to establish w.r.t. M/s Wear Well and issue SCN for closure u/s 33(A) of the Water Act and u/s 31(A) of the Air Act to M/s Krishna Overseas.
	(1) ETP: Not installed.  
(2) ECS: …………
(3) D.G.Set: ................
(4) Inspection details:
As aproved ( In file of M/s WEAR WELL, D-21/1, Phase-I, OIA, same premises), an inspection was carried out by DPCC officials on 03.03.2011 & following observations were made:
1. M/s Wear Well India Pvt. Ltd is now not existing in the Premises.
2. As present M/s Krishna Overseas is existing in the premises and engaged in the activity of Mfg. of Readymade Garments including washing.
3. As reported this unit is in operation in the premises about last one month.
4. No ETP has been installed to treat the trade effluent generated from the process. At present effluent is being discharged without any treatment.
5. Adequate stack height has not been provided with D.G set of 63 KVA.
6. One bore well exist.

(5) SCN u/s 31(A) & 33(A)details : issued on 24.05.11. 
No reply received from the unit in response to said SCN for closure ( Revocation of CTE also issued to M/s Wear Well)
(6) Closure directions  u/s 31(A) & 33(A) details : issued on 27.07.11. 
No complaince received from the unit 
as well as conserned authorities i.e MCD, DJB & BSES.
	Ask the compliance from discom, DJB & MCD and also ask the SDM for effective closure of the unit.
	Ask the compliance from discom, DJB & MCD and also ask the SDM for effective closure of the unit.
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	32955
	26.02.10
	LIFESTYLE BUILDCON PVT. LTD. (SALCON AURUM)
	PLOT NO 4, VILLAGE JASOLA
	NC-S
	Operate
	Salcon aurum at plot no 4, jasola
	(1) CTE : applied on 13.09.06
(2) CTO: applied on 26.02.10 vd ID 32955.
(3) CTO(R) : N/a
(4) Authorization under HWM Rules : N/a
(5) Date of Commissioning : 2009
(6) BUA : 26898.25 Sq.mts
(7) Water consumption: 192 KLD
(8) Ground Water : Nil
(9) Waste water discharge :
(a) Domestic effluent : 64 KLD
(b) Trade effluent: Nil
	                      04.03.2009
Ask the unit to file the technical evaluation report of STP immediately. Call on 02.04.2009
                 02.04.2009
Issue final remider. Call on 12.05.2009
              12.06.2009
File be submitted administratively.
                 06.01.10
Inspection be expedited by SIT within 15 days.
                 27.08.10
Issue SCN for refusal of consent and SCN u/s 33(A) of the Water Act.
                        17.06.11
Issue closure direction
	(1) STP: installed
(a) AR dated 13.04.09  issued by DCE submitted. 
(b) Effluent analysis report dated ………….issued by ……………..submitted.
(c) ..........number of parameters analyzed which are within limit / beyoud prescribed limit. 
(2) ECS: …………
(a) AR dated ………….issued by ……………..submitted. 
(b) Stack monitoring report dated ………….issued by ……………..submitted
(c) ..........number of parameters analyzed which are within limit / beyoud prescribed limit.  
(3) D.G.Set: 2x 1250 KVA & 500 kVA
(a) Noise monitoring report of 500 KVA , 2x 1250 KVA dated 13.04.09 issued by DCE submitted and noise levels are within limit . 
(b) Stack monitoring report (for more than 1000 KVA) not submitted . 
(4) Inspection details: conducted on 09.07.10 & following were observed:
1. Building found operation with 5-10 % occupancy.2. STP installed but due to low occupancy it is not being operated and waste water is being discharged into sewer. 3. One bore well exists at site. 4. Proper tree plantation needs to be provided. 5. No filter press provided with the STP to handle sludge as indicated. 6. Proper labeling on tanks and arrow marks on pipelines indicating treated & wastewater flow should be provided.
7. No solar energy is being utilized.8 . Flow meter may be provided in the STP to ascertain treated wastewater utilization. 9. At present no provision of UV radiations utilization for waste water disinfection provided with STP. 10. No information available at site regarding soil and ground water samples testing. 11. No information provided/available at site w.r.t. compliance of clause I (xiv) of environmental clearance for construction phase. 12. No information provided/available at site w.r.t. compliance of clause I (xxiv) to I (xxvi) of environmental clearance for construction phase.
13. Two rainwater harvesting pits exists at site for only roof run-off harvesting. 14. No separate place provided for solid waste collection at site and no composting provisions provided. 15. No documents available regarding dispose-off waste oil through approved recycler. 16. Proper peripheral tree plantation needs to be provided. Only landscaping has been done at present. 17. No information of the document available at site w.r.t. compliance of clause II (vi) of environmental conditions for operational phase.
(5) SCN u/s 33(A) details : issued on 01.11.10. ( SCN for refusal of CTO was also issued on 01.11.10).
Unit submitted its pointwise reply on 03.12.10 & following were informed:
1. STP will operated as soon as the occupancy will increase.
2. Filter press, flow meter proper labeling on tanks and aroow marks on pipelines have been provided in the STP.
3. No solar heater has been proposed as there is no food court.
4. Proper tree plantation and solar light shall be provided.
5. UV-radiation utilization for this water disinfection is being provided.
6. Two RWH pits have been provided for both roof run-off and surface run-off.
(6) Closure directions  u/s 33(A) details : issued on 29.07.11. ( returned back undelivered. delivered by hand on 12.08.11)
Unit submitted its reply o 12.08.11 & requested the reviewing the case and revocation of closure direction.
The unit has filed a petition  before Hon'ble High court and Hon'ble High court vide its order dated 25.08.11 granted stay on disconnection of Water and electricity supply to the property subject to the following conditions:
(i) That the petitioner by tomorrow files an affidavit stating the total built up area and      specifying the portions which have been occupied and the occupiers thereof:
(ii) The petitioner to hereafter not allow any person to occupy the building:
(iii) If the occupancy certificate has not been issued. the petitioner will not allow even the       persons who have occupied building to operate function from the building. 
As approved in the file, the unit is to be inspected.
	Inspection be conducted. 
	Inspection be conducted. 
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	Notting Hills Hotels & Resorts Pvt. Ltd
	 The Nitesh Kunj, NH?-8, Near Shiv Mandir
	 
	orange
	Marriage and party lawn
	Not Applied
	 
	(1) ETP: No
(2) ECS:No
(3) D.G.Set: 125 KVA
(4) Inspection details:conducted on 25.02.2011, during the inspection following were observed:
i) Unit is a party/marriage lawns. 3 mos of lawn exist with seperate kitchens.
ii) The unit is generating kitchen effluent & is being discharged without treatment in soak pit/in open land.
iii) 10 nos of D.G. Sets of 125 KVA are found installed without adequate stack height.
(5) SCN u/s 31(A) & 33(A) details : issued on 04.03.2011
(6) Closure directions  u/s 31(A) & 33(A) details : issued on 02.08.2011
	Ask the compliance from discom, DJB  & MCD and also ask the SDM for effective closure of the unit.
	Ask the compliance from discom, DJB  & MCD and also ask the SDM for effective closure of the unit.
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	23186
	20.08.07
	SANYA AUTOMOBILE
	B-1227. PH-I
	OKHLA INDUSTRIAL AREA
	Renewal
	Service station cum show room of cars
	(1) CTE : not requied
(2) CTO: issued on 18.05.04
(3) CTO(R) : appplied on 20.08.07
(4) Authorization under HWM Rules : applied on 12.11.06
(5) Date of Commissioning : 2001
(6) BUA : 1500Sq.mts
(7) Water consumption: 5000 Lt/day
(8) Ground Water : 5000 Lt/day
(9) Waste water discharge :
(a) Domestic effluent :  800 lt/day
(b) Trade effluent: 4000 L/day
	 
	(1) ETP: installed
(a) AR dated 02.5.01 issued by Span Consultants Private limited submitted. 
(b) Effluent analysis report dated 28.05.07 issued by DPCC submitted.
(c) 4 number of parameters analyzed which are within prescribed limit. 
(2) ECS: N/a  
(3) D.G.Set: 125 KVA
(a) Noise monitoring report of 125 KVA dated30.05.07 issued by DPCC submitted and noise levels are within limit . 
A public compainst was received on 25.03.11 against the unit
(4) Inspection details: conducted on 27.04.11 & it was observed that:
1. The unit has installed an ETP but the same was not found in operation. However, collection tank filled with trade effluent. 2. It was observed that trade effluent is being discharged without any treatment. 3. Gravity filter of ETP was also found disconnected. 4. Sludge drying bed was filled with scrap material. 5. No dry/ wet sludge was observed. 6. ETP logbook & hazardous waste record were not available.7. The unit is not complying with the provisions of HWM Rules. 8. Adequate stack height has not been provided with the paint booth.
9. Inlet of collection tank was found chocked & waste water is flowing into sewer without any treatment.
(5) SCN u/s 31(A)/33(A)/5 of EPA details : issued on 24.05.11
(6) Closure directions  u/s 31(A)/33(A)/5 of EPA details : issued on 03.08.11 . Since, 
No complaince received from the unit as well as conserned authorities i.e MCD, DJB & BSES.
	Ask the compliance from discom, DJB & MCD and also ask the SDM for effective closure of the unit.
	Ask the compliance from discom, DJB & MCD and also ask the SDM for effective closure of the unit.
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	Unique Shoppers System
	K-96
	Udyog Nagar 
Industrial Area
	Orange
	Mfg. of electrical items 
	Not applied for consent
	 
	(1) ETP:N/A
(2) ECS: N/A
(3) D.G.Set:N/A.
(4) Inspection details:Conducted on 09.06.2011, during the inspection following were observed:
i) Unit found operational and engaged in the activity of Mfg. of electrical items.
ii) No emission control system has been provided to control the process emission generated from the grinding and moulding.
iii) One DG set of 32 KVA found installed without acoustic enclosure and inadequate stack height.
(5) SCN u/s 31(A) issued on 01.07.2011.
(6) Closure directions  u/s 31(A) on 07.08.2011.
Unit submittd its reply on 01.09.2011  along with an affidavit and photograph of stack provided over grinder.
	Ask the compliance from discom and DJB clarifying that Mohdinder Singh Aggarwal is the properitor and the name of the unit be read as M/s Unique Shoppers existing at the basement of K-96. Ask the unit to clarify about the owner of the 32 KVA D.G. Set found in the premises  within 15 days and not to operate the unit in violation of closure directions failing which SDM will be asked for effective closure. 
	Ask the compliance from discom and DJB clarifying that Mohdinder Singh Aggarwal is the properitor and the name of the unit be read as M/s Unique Shoppers existing at the basement of K-96. Ask the unit to clarify about the owner of the 32 KVA D.G. Set found in the premises  within 15 days. Also ask the SDM for effective closure of the unit. 
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	Vijay Kumar
	K-96
	Udyog Nagar 
Industrial Area
	 
	Mfg. of plastic items (job work)
	unit obtained CTO_R  valid upto 20.11.2006 in the name of M/s Aggrawal Enterprises.
Applied for CTO_R on 05.09.2011 in the name of Aggrawal Enterprises.
	 
	(1) ETP : Not applicable. 
(2) ECS : Channelization not provided. 
(3) D.G. Set : NIl
(4) Inspection details:Inspection conducted on 09.06.2011, during the inspection following were observed:
i) Unit found operational and engaged in the activity of mfg. of plastic items.
ii) No channelization system has been provided to control the emissions generated from the process.
iii) Unit is operating without obtaining consent from DPCC.
(5) SCN u/s 31(A) details : issued on 01.07.2011
(6) Closure directions  u/s 31(A) details : issued on 07.08.2011
The properiter of the unit(K-96) submitted an representaion on 30.08.2011 along with an affdavit and stated that unit is existing in the name of M/s Aggerwal Entterprises instead of M/s Vijay Kumar.
	Ask the compliance from discom and DJB enclosing the closure orders issued in the name of M/s Laxmi Enterprises & M/s Vijay Kumar at Ist floor, K-96. Issue a letter to landlady Ms. Pushplata for clarifying the exact name and number of the unit existing in its premises i.e. K-96 floor-wise with documentary evidence within 15 days clarifying that in case of failure, SDM will be asked for effective closure of the units operating at K-96, Ist Floor. 
	Ask the compliance from discom and DJB enclosing the closure orders issued in the name of M/s Laxmi Enterprises & M/s Vijay Kumar at Ist floor, K-96. Issue a letter to landlady Ms. Pushplata for clarifying the exact name and number of the unit existing in its premises i.e. K-96 floor-wise with documentary evidence within 15 days. Also ask the SDM for effective closure of the unit. 
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	35178
	21-09-2010
	CHICKEN PLANET
	8075, BARA HINDU RAO
	 
	Orange
	Restaurant
	CTE : Obtained
Water Consumption :1300  L/Day
Waste Water generation : 
(a) Domestic effluent:  500 L/Day
(b) Trade effluent: 300.
Date of Commissioning: Jan 2010.
ETP :  Installed. Adequacy report submitted. 
Test Report (Water) within limit : Yes.
Test Report (Air) within limit : NA 
NMR submitted :NA .
DG set: nil
Seating Capacity : 30 seats. 
Ground Water : Nil
	21.01.2011
Inspection be conducted in view of the complaint. 
31.03.2011
Issue SCN for forfeiture of the bank guarantee submitted by the unit in response to the action taken by PGRC. Issue SCN for refusal of consent, SCN u/s 31(A) of the Air Act and u/s 33(A) of the Water Act on the basis of the recent findings.
17.06.2011
File be put administratively.
	(1) ETP: Installed.
(a) AR dated : 17.09.2010 issued by : Delhi Technological University submitted. 
(b) Effluent analysis report dated 17.09.2010 issued by Delhi College Of Engineering submitted.
(c) Six number of parameters analyzed which are within limit / beyoud prescribed limit. 
(2) ECS: No 
(3) D.G.Set: Nil
(4) Inspection details: Inspection conducted on 07.03.2011:
1) The unit was found in operation.
2) The ETP was installed within the premises which consists of settling-cum-equaliation tank, reaction-cum-settling tank and one Sludge Drying Bed. The ETP was not in operation. The washing activity os carried out on public land outside the premises.
3) The unit was having channelization system over  the 2 tandoors, fitted with exhaust fans and the emissions/flue gases generated through the frying in tandoor being dispersed through stack of height which is below the building roof i.e. inadequate height wich is erected on public telphone pole.
4) The hood and duct arrangement has also been provided for process emissions generated during the frying process. 
The  said duct is attached to the said stack. However, no suction arrangement provided within
 the hood and duct arrangement.
(5) SCN u/s 31(A)/33(A)/5 of EPA details :SCN U/s 31 A and 33A issued to the unit on 24.05.2011
  SCN  for Forfieture for bank guarantee issued on 24.05.2011SCN for refusal issued to the unit on 13.07.2011. Forfieture for bank guarantee issued on 13.07.2011. Reply for all of the letters received.
(6) Closure directions  u/s 31(A) and 33(A)  : Issued on 11.08.2011
  No reply received till date.
Unit has submitted a letter on 21.09.2011 
informing that they have closed its unit on 03.06.2011 
and why closure directions have been issued. 
	Ask the compliance from discom  & DJB.
	Matter is before the court. File be put up administratively. 
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	Radhe Electroplating
	H-79, Sec-2
	Bawana
 Industrial 
Area
	Orange
	Electropplating Job
	(1) CTE : Not Applied
(2) CTO:Not Applied
(3) CTO(R) :Not Applied
(4) Authorization under HWM Rules :Not Applied
(5) Date of Commissioning : unknown
(6) BUA : 100Sq mt (Plot area)
(7) Water consumption: unknown
(8) Ground Water :yes
(9) Waste water discharge :
(a) Domestic effluent : yes,unknown
(b) Trade effluent:yes, unknown
	N/A
	(1) ETP: yes
(a) AR dated : No
(b) Effluent analysis report :No
(c)  number of parameters analyzed which are within limit / beyond prescribed limit : N/A 
(2) ECS: N/A 
(3) D.G.Set: nil
(4) Inspection details: Inspection conducted on 04.02.2010
-The Unit found operation in basement, ground floor and first floor .Electroplating (nickle + chrome dipping ) in the basement.
-ETP was found installed at ground floor, front setback portion.
- The trade effluent from rinsing process was found stored in the basement in a plastic tank.
- Although ETP was found not in operation during inspection but the condition reveal that the unit operates the ETP as there was wet sludge in the sludge drying bed.However no log book was produced by the unit and also needs to make 2nd sludge drying bed.
-No hazardous waste storage facility was provided by the unit.
- No record of hazardous waste maintained.
-First floor buffing machinery having suction and hood arragement ,followed by a common stack.However no emmission control measures were taken on buffing cum grinding machine at ground floor.
 (5) SCN u/s 31(A)/33(A)/5 of EPA details : no
(6) Closure directions  u/s 31(A) and 33(A) and u/s 5 of EPA  : Issued on 13.08.2011
     No reply received till date.
	Ask the compliance from discom  & DJB and also ask the SDM for effective closure of the unit in view of the electroplating activity. 
	Compliance received from discom. Ask the compliance from DJB and also ask the SDM for effective closure of the unit.
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	Anil Industries
	K-18
	Udyog Nagar 
Industrial Area
	 
	Mfg. of  Plastic dana (Compound)
	(1) CTE : Applied on 28.07.2011 vide ID no 37761
(2) CTO: Not Applied 
(3) CTO(R) : Not Applied
(4) Authorization under HWM Rules : NA
(5) Date of Commissioning : 15 May, 2011
(6) BUA : 250 sqm
(7) Water consumption: 0.3 KLD
(8) Ground Water : 0.3 KLD
(9) Waste water discharge :
(a) Domestic effluent : 0.2 KLD 
(b) Trade effluent: 0.3 KLD
	 
	(1) ETP: No
(2) ECS: No
(3) D.G.Set: nil
(4) Inspection details: Conducted on 09.06.2011. during the inspection following were observed:
i) No ETP found installed. the waste water generated from washing activity is being discharged without any treatement.
ii) No channelisation system installed to control the dust  from the process grinding.
(5) SCN u/s 31(A) & u/s 33(A)issued on 05.07.2011
(6) Closure directions  u/s 31(A)& u/s 33 (A) issued on 17.08.2011
	Ask the compliance from discom  & DJB and also ask the SDM for effective closure of the unit.
	Ask the compliance from discom  & DJB and also ask the SDM for effective closure of the unit.
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	Sumitsu Appearals Pvt. Ltd
	F-12
	Udyog Nagar 
Industrial Area
	orange
	Mfg & assembling of ties, purse & belts
	Not Applied
	 
	(1) ETP:NA
(2) ECS: No ( baby boiler)
(3) D.G.Set: 5 KVA (Wihtout acoustic and inadequate stack height)
(4) Inspection details: conducted on 30.05.2011. during the inspection following were observed:
i) One DG set of 5 KVa found installed wihtout acoustic and inadequate stack height.
ii) One electric baby boiler found installed without adequate stck height.
(5) SCN u/s 31(A) issued on 05.07.2011
(6) Closure directions  u/s 31(A) issued on 17.08.2011. No reply received.
	Ask the compliance from discom & DJB and ask the unit to confirm on an affidavit that it is non operational in compliance of closure directions failing which, SDM will be asked for the effective closure of the unit. 
	Ask the compliance from discom  & DJB and also ask the SDM for effective closure of the unit.
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	Sairam Plastic
	K-10
	Udyog Nagar 
Industrial Area
	orange
	Moulding job work
	Not applied for consent
	 
	(1) ETP: NA
(2) ECS:No
(3) D.G.Set: nil
(4) Inspection details: Conducted on 09.06.2011. During the inspection following were observed:
i) No channelisation system has been provided to control the process emission generated from the grinding/ moulding process.
(5) SCN u/s 31(A) issued on 01.07.2011.
(6) Closure directions  u/s 31(A) issued on 17.08.2011. No reply received.
	Ask the compliance from discom & DJB and ask the unit to confirm on an affidavit that it is non operational in compliance of closure directions failing which, SDM will be asked for the effective closure of the unit. 
	Ask the compliance from discom  & DJB and also ask the SDM for effective closure of the unit.
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	Laxmi Footwears
	J-26
	Udyog Nagar 
Industrial Area
	Orange
	Mfg. of PVC footwears
	Not applied for consent
	 
	(1) ETP: NA
(2) ECS:No
(3) D.G.Set: nil
(4) Inspection details: Conducted on 30.05.2011. During the inspection following were observed:
i) No channelisation system has been provided to control the process emission generated from the process. 
ii) One DG set of 180 KVA found installed with inadequate stack height.
(5) SCN u/s 31(A) issued on 01.07.2011.
(6) Closure directions  u/s 31(A) issued on 17.08.2011. No reply received.
	Ask the compliance from discom & DJB and ask the unit to confirm on an affidavit that it is non operational in compliance of closure directions failing which, SDM will be asked for the effective closure of the unit. 
	Ask the compliance from discom  & DJB and also ask the SDM for effective closure of the unit.
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	Laxmi Cable
	J-12
	Udyog Nagar 
Industrial Area
	 
	Mfg. of rubber enamelled wire
	Not Applied for consent
	 
	(1) ETP: N/A
(2) ECS:N/A
(3) D.G.Set:N/A.
(4) Inspection details:Conducted on 30.05.2011, during the inspection following were observed:
i) Unit found operational and engaged in the activity of Mfg. of rubber enamelled wire. 
ii) No channnelization system was found installed to control the emissions from the process.
(5) SCN u/s 31(A) details :Issued on 05.07.2011
(6) Closure directions  u/s 31(A) Issued 17.08.2011. Reply awaited
	Ask the compliance from discom & DJB and ask the unit to confirm on an affidavit that it is non operational in compliance of closure directions failing which, SDM will be asked for the effective closure of the unit. 
	Ask the compliance from discom  & DJB and also ask the SDM for effective closure of the unit.
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	Laxmi Enterprises
	K-96
	Udyog Nagar 
Industrial Area
	Orange
	Mfg. of plastic dana (job work)
	Not applied for consent
	 
	(1) ETP: NA
(2) ECS:No
(3) D.G.Set: nil
(4) Inspection details: Conducted on 09.06.2011. During the inspection following were observed:
i) No channelisation system was found installed to control the emmission from the grinding/ moulding process.
(5) SCN u/s 31(A) issued on 01.07.2011.
(6) Closure directions  u/s 31(A) issued on 17.08.2011.
The properiter of the unit(K-96) submitted an representaion on 30.08.2011 along with an affdavit and stated that unit is existing in the name of M/s unique supports instead of M/s Laxmi Enterprises.
	Ask the compliance from discom and DJB enclosing the closure orders issued in the name of M/s Laxmi Enterprises & M/s Vijay Kumar at Ist floor, K-96. Issue a letter to landlady Ms. Pushplata for clarifying the exact name and number of the unit existing in its premises i.e. K-96 floor-wise with documentary evidence within 15 days clarifying that in case of failure, SDM will be asked for effective closure of the units operating at K-96, Ist Floor. 
	Ask the compliance from discom and DJB enclosing the closure orders issued in the name of M/s Laxmi Enterprises & M/s Vijay Kumar at Ist floor, K-96. Issue a letter to landlady Ms. Pushplata for clarifying the exact name and number of the unit existing in its premises i.e. K-96 floor-wise with documentary evidence within 15 days. Also ask the SDM for effective closure of the unit. 
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	Rupender Plastic
	K-96
	Udyog Nagar 
Industrial Area
	Orange
	Mfg. of plastic dana (job work)
	CTO (R) applied in the name of M/s Aggarwal Enterprises on 05.09.2011.
Earlier CTO was valid upto 20.11.2006.
	 
	(1) ETP: NA
(2) ECS:No
(3) D.G.Set: nil
(4) Inspection details: Conducted on 09.06.2011. During the inspection following were observed:
i) No channelisation system was found installed to control the emmission from the grinding of scrap.
(5) SCN u/s 31(A) issued on 01.07.2011.
(6) Closure directions  u/s 31(A) issued on 17.08.2011.
A reply has been submitted from M/s Aggrawal Enterprises along with an affidavit & photograph of stack on 01.09.2011 and stated that M/s Rupender Plastic does not exist at said address.
	Ask the compliance of the closure order from BSES & DJB  indicating that the direction for disconnection issued in the name of M/s Rupender Plastic may be given effect w.r.t. M/s Aggarwal Enterprises as M/s Rupender Kumar Garg is properitor of M/s Aggarwal Enterprises existing at ground floor and ask the unit not to operate and confirm the compliance of closure to this office within 15 days failing which effective closure will be done through SDM. Ask the unit to submit a categorical statement on an affidavit that the hood & suction arrangement for all the process emissions have been provided for channelizing and controlling all the process emissions followed by an stack of 11 meter from ground level or 3 meter above roof level whichever is more to achieve the standard of PM and HCL as 150 mg/Nm3  and 35 mg/Nm3 respectively and not to operate the unit in violation of the closure directions, failing which, SDM will be asked for effective closure. Also ask the unit to confirm the present name of the unit informed to this office with a documentary proof. 
	Ask the compliance of the closure order from BSES & DJB  indicating that the direction for disconnection issued in the name of M/s Rupender Plastic may be given effect w.r.t. M/s Aggarwal Enterprises as Mr. Rupender Kumar Garg is properitor of M/s Aggarwal Enterprises existing at ground floor. Also ask the SDM for effective closure of the unit. Ask the unit to submit a categorical statement on an affidavit that the hood & suction arrangement for all the process emissions have been provided for channelizing and controlling all the process emissions followed by an stack of 11 meter from ground level or 3 meter above roof level whichever is more to achieve the standard of PM and HCL as 150 mg/Nm3  and 35 mg/Nm3 respectively and not to operate the unit in violation of the closure directions. Also ask the unit to confirm the present name of the unit informed to this office with a documentary proof. 
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	Devi Durga Flavours
	WH-85, Phase-I
	Mayapuri Industrial Area, Delhi
	Orange
	Packaging of Pan Masala by one pouch filling machine
	(1) CTE : Applied on 05.09.2011 vide ID no 38009
(2) CTO: Not Applied 
(3) CTO(R) : Not Applied
(4) Authorization under HWM Rules :NA
(5) Date of Commissioning :April, 2011
(6) BUA : 165 sqm
(7) Water consumption: 100 LPD
(8) Ground Water :NIL
(9) Waste water discharge :
(a) Domestic effluent : 80 LPD
(b) Trade effluent: NIL
	 
	(1) ETP: NA
(2) ECS: Yes as reported in representation / affidavit.. 
(3) D.G.Set: nil
(4) Inspection details: Conducted on 21.06.2011. During the inspection (i) only one packaging machine found installed. (ii) no channelization system has been provided to control the process emissions. 
(5) SCN u/s 31(A)issued on 01.06.2011
(6) Closure directions u/s 31 (A) issued on 17.08.2011
Unit submitted its reply along with the affidavit and application for CTE on 05.09.2011 & stated that mixing and other machines are under installation and will operate only after installation of ECS system.
No compliance received form BSES and DJB
Accordingly, a letter has been issued for installation of mixing and other machines along with pollution control device system to the unit on 12.09.2011.
	Compliance from discom and DJB has been asked on 12.09.2011 and ask the unit to confirm on an affidavit that it is non operational in compliance of closure directions failing which, SDM will be asked for the effective closure of the unit. 
	Reply along with affidavit received. Ask the unit to submit bank guarantee of Rs. One Lakh under Air Act valid for one year. If unit submits the bank guarantee, closure directions be revoked. 
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	Devi Durga Flavours
	A-31/2, Phase-I
	Mayapuri Industrial Area, Delhi
	Orange
	Mfg. of khaini and Pan Masala
	(1) CTE :Issued valid upto 16.02.2011 vide consent order no. 22796.
(2) CTO:Applied on 03.06.2010 vide ID no. 34081
(3) CTO(R) :Not Applied
(4) Authorization under HWM Rules :N/A
(5) Date of Commissioning : Dec, 2009
(6) BUA : 500 sqm
(7) Water consumption: 500 LPD
(8) Ground Water :Nil
(9) Waste water discharge :
(a) Domestic effluent : 300 LPD 
(b) Trade effluent: Nil
	Decision on 05.08.2010
Ask the unit to submit stack monitoring report for the stack provided with hood & suction arrangement for the process emissions from approved laboratory of DPCC.
	(1) ETP: N/A
(2) ECS: Yes as reported in representation / affidavit. 
(b) Stack monitoring report dated 26.10.2010.issued by DPCC submitted
(c) 2 number of parameters analyzed which are within limit / beyoud prescribed limit.  
(3) D.G.Set: 2 x 82.5 KVA 
(a) Noise monitoring report of 2X 82.5 KVA dated15.01.2010.issued by DPCC submitted and noise levels are within limit. 
(4) Inspection details:Conducted on 21.06.2011, during the inspection following were observed:
i) Paper (One side coated with aluminium) pouches is being used for packing of pan masala guthka.
ii) Channelization has not been provided with grinding and mixing section to control the emissions.
iii) Stack of two ovens for drying of supari is not adequate i.e. below roof level.
vi) Two DG sets of 75 KVA each were found installed with acoustic enclousre and  adequate stack height.
(5) SCN u/s 31(A) details :Issued on 01.07.2011
(6) Closure directions  u/s 31(A) details :Isued on 17.08.2011.
Unit submitted representation along with an affidavit on 02.09.2011.
A letter issued to the unit on 12.09.2011 for the submision of a fresh affidavit confirming that hood & suction arrangement 
followed by duct and stack of at least 2 m above roof level has 
been provided. Reply received. 
	File has been put up administratively. 
	Closure directions revoked on 03.10.2011. Issue reminder to submit adequacy report and test report from empanelled consultant and approved laboratory of DPCC within 15 days. 
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	_
	_
	MAA PRINTERS
	Il nd FLOOR, B-24/2, Ph-
	OKHLA INDUSTRIAL AREA
	_
	Offset Printing 
	(1) CTE : not applied
(2) CTO: not applied
(3) CTO(R) : not applied
(4) Authorization under HWM Rules : not applied
(5) Date of Commissioning : -
(6) BUA : -
(7) Water consumption: -
(8) Ground Water :-
(9) Waste water discharge :
(a) Domestic effluent : -
(b) Trade effluent: -
	           30.12.10 (Green)
(In file of M/s AVON STEEL INDUSTRIES (INDIA), B-24/2, PHASE-II, OIA)
Ask the unit to apply for consent to establish under orange category in view of generation of  hazardous waste. Issue SCN u/s 31(A) of the Air Act, u/s 33(A) of the Water Act and u/s 5 of the EPA to M/s Maa Printers found during inspection.
            23.05.11 (Green)
(In file of M/s AVON STEEL INDUSTRIES (INDIA), B-24/2, PHASE-II, OIA)
Issue SCN for refusal of consent as the unit falls under orange category in view of hazadous waste generating activity, thereafter, the case be put up before CMC(Orange). Issue SCN u/s 31(A) of the Air Act and u/s 33(A) of the Water Act to M/s Maa Printers.
               17.02.11 (Green)
(In file of M/s AVON STEEL INDUSTRIES (INDIA), B-24/2, PHASE-II, OIA)
Earlier decesion w.r.t M/s Maa Printer reviewed. Re-inspection by AEE be conducted to check the water pollution and air pollution.
	(1) ETP: not installed ( as per inspection report)
(2) ECS:N/a
(3) D.G.Set: 85 KVA
(4) Inspection details: conducted on 01.04.11 & following were observed:
((a) The unit was found in operation at basement and IInd floor of the premises.
(b) Plate making section installed at IInd floor and generating trade effluent which was discharged outside w/o any treatment.
(c) No ETP installed to treat their effluent
(d) The unit is not complying with the provisions of HWM Rules.
(e) Stack height with D.G set found inadequate.
(f) Other unit M/s AVON STEEL INDUSTRIES (INDIA) is operating at G. floor (backside) and the same was also not complying with the provisions of HWM Rules.
(g) Ground and Ist floor is occupied by Maha Nagar Telecphone Nigam Ltd and having two DG of 15 KVA with adequate stack height,

(5) SCN u/s 31(A),33(A) & 5 of EPA details : SCN u/s 5 of EPA issued on 25.03.11. As decided by CMC dated 23.05.11,  SCN u/s 31(A)of Air Act & 33(A) of Water At issued on 12.07.11.
SCN for Refusal of consent issued to M/s AVON STEEL INDUSTRIES (INDIA) issued on 12.07.11
(6) Closure directions  u/s 31(A),33(A) & 5 of EPA details : issued to M/a Maa Printerson 18.08.11.
Refusal of consent issued to M/s AVON STEEL INDUSTRIES (INDIA) issued on 18.08.11
No complaince received from the unit as well as 
conserned authorities i.e MCD, DJB & BSES.
	Ask the compliance from discom, DJB & MCD and also ask the SDM for effective closure of the unit.
	Ask the compliance from discom, DJB & MCD and also ask the SDM for effective closure of the unit.
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	36133
	04.01.11
	Fashion Factory International
	B-253, Phase-I
	OKHLA INDUSTRIAL AREA
	Establish
	Leather Garments & export house
	(1) CTE ( Green) : refused on 18.08.11 vd refusal no. 2202.
 (a) CTE (Orange): 
(2) CTO: not applied 
(3) CTO(R) : not applied 
(4) Authorization under HWM Rules : N/a
(5) Date of Commissioning :Feb, 2011
(6) BUA : 512 Sq. mts
(7) Water consumption: 500 Lt/day
(8) Ground Water : Nil
(9) Waste water discharge :
(a) Domestic effluent : 200 Lt/day
(b) Trade effluent: Nil
	      17.02.11 ( Green)
Insepction be conducted.
          23.05.11 (Green)
Issue SCN for refusal of consent, SCN u/s 31(A) of the Air Act and u/s 33(A) of the Water Act.
	(1) ETP: Proposed. 
(2) ECS: Channelization provided. 
(3) D.G.Set: 100 KVA proposed.  
(4) Inspection details: conducted on 15.03.11 & following were observed:
(a) The unit is engaged in the Mfg. of Readymade Garments & Leather Accessories including embroidery and spray dying/coloring.
(b) No control measures have been provided with spray dying/coloring section of leather garments.
(c) Adequate stack height has not been provided with the oil fired boiler.
(d) As reported presently washing activity of garments are carried out in other unit i.e. B-164, Phase-I. However, the same will be installed in this premise within 15 days.
(e) Source of ground water is DJB & outside tanker.  
(5) SCN u/s 31(A) & 33(A) details : issued on 13.07.11. (SCN for refusal of CTE(Green) also issued on 13.07.11)
No reply received from the unit.
(6) Closure directions  u/s 31(A) & 33(A) details : issued on 18.08.11. (Refusal of CTE (Green) also issued on 18.08.11)
The unit has submitted its reply on 15.09.11 & 16.09.11 along with an affidavit .The unit has informed that they have provided adequate stack height with the oil 
fired boiler, channelization system with the spray gun 
section & requested for grant of two months time for installation 
of ETP. It has also been mentioned in reply that they will not 
carryout washing activity without installation of ETP & prior 
approval of DPCC. The unit has also applied for CTE(orange) on 16.09.11
	Ask the compliance from discom, DJB & MCD. Ask the unit to submit an undertaking on an affidavit that unit is non operational, failing which, SDM will be asked for effective closure of the unit. Also ask the unit to install the ETP and submit a technical adequacy report (in non operational condition) from empanelled consultant of DPCC for further decision on revocation. 
	Ask the compliance from discom  & DJB and also ask the SDM for effective closure of the unit.
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	SANJAY PLASTIC GRANULES
	B-67
	LAWRENCE ROAD, RAMPURA
	 
	Plastic work (PVC granules).
	(1) CTE : (P) Vide Id.No. 37870 apllied on 16.08.11.
(2) CTO:
(3) CTO(R) :
(4) Authorization under HWM Rules :
(5) Date of Commissioning : 
(6) BUA : 
(7) Water consumption: 
(8) Ground Water :
(9) Waste water discharge :
(a) Domestic effluent : 
(b) Trade effluent: 
	 
	(1) Inspection details: Inspection of the unit was conducted on 03.06.2011.
Observations:
1. Unit is operating and enaged in activity of Plastic granule works.
2. No Channelisation provided to channelise the emissions 
genenerated from the activity.
3. unit is operating at the G.F of the premises at back side.
4. No responsible person was available and owner of the land 
was contacted on mobile to ask information about the said unit.
(2) SCN u/s 31(A) details : Issued on 21.06.2011.
Reply has been received on 07.07.2011 stating that they have taken
 this premsies on rent few days back & are in process of establishing the
 unit and requested for some time to install proper channelisation & to apply for CTE/CTO.
(3) Closure directions  u/s 31(A) details : Issued on 19.08.2011.
Reply has not been received.
	Ask the compliance from discom & DJB and ask the unit to confirm on an affidavit that it is non operational in compliance of closure directions failing which, SDM will be asked for the effective closure of the unit. 
	Ask the compliance from discom  & DJB and also ask the SDM for effective closure of the unit.
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	32474
	18.01.2010
	B.M. RECYLERS
	O-132, SECTOR-3, DSIDC
	Bawana
 Industrial 
Area
	Orange
	E-Waste recycling
	1) CTE : cancelled on 16.07.2010
(2) CTO: Not applied
(3) CTO(R) : Not applied
(4) Authorization under HWM Rules :Not applied
(5) Date of Commissioning : April 2010
(6) BUA : 100 Sq mt
(7) Water consumption: nil
(8) Ground Water :No
(9) Waste water discharge :
(a) Domestic effluent : 40000 lpd
(b) Trade effluent:Nil 
	16.03.2010
Inspection be conducted within 10 days and file be put up administratively without waiting for minutes.
16.06.2010
Consent be made infructuous w.r.t. M/s B.M. Recyclers. Issue SCN u/s 21/22 of the Air Act and u/s 25/26 of the Water Act to M/s Surya Dev Energy Solution.
13.08.2010
Consent application of M/s B.M. Recyclers stands infructuous. Issue SCN u/s 31(A) of the Air Act to M/s Surya Devi Energy Solution.
31.03.2011
File be put administratively.
File was put administratively and it was decided to confirm the closure direction.
	(1) ETP: N/A
(2) ECS: : N/A
(3) D.G.Set:: N/A
(4) Inspection details: On 18.03.2010.Observation Are:
i)Unit namely M/S BM recylers found closed.
ii)At present another unit namely M/S surya dev energy solution was found in operation and engaged in the activity of mfg of  water tank for solar water heater which is purely engineering works. 
iii) This unit has not applied for CTE and CTO .
 Consent made infructous with respect to BM recyclers.
 SCN u/s 21/22 and SCN u/s 25/26 issued to Surya Dev energy solution on 16.07.2010
 No reply received.
(5) SCN u/s 31(A) issued to Surya Dev energy solution on 17.09.2010
                           No reply received.
(6) Closure directions  u/s 31(A) :issued on 23.08.2011.
No Reply received .
Compliance from SDM (Narela) Received on 06.09.2011.
	Ask the compliance from discom  & DJB.
	Ask the compliance from discom  & DJB.
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	21136
	26.04.2007
	Kirpal Confectionery Works
	E 173 Sec 2 DSIDC
	Bawana
 Industrial 
Area
	Orange
	Mfg of confectionery products
	(1) CTE : Applied on 26.04.2007 
(2) CTO: Not Applied
(3) CTO(R) :Not Applied
(4) Authorization under HWM Rules : No
(5) Date of Commissioning : July 2007
(6) BUA : 60 Sq mt
(7) Water consumption: 1000 lpd
(8) Ground Water : Yes
(9) Waste water discharge :
(a) Domestic effluent : 600 lpd
(b) Trade effluent: 900 lpd
	09.09.2009-
Inpection be conducted to know the present status of the unit.
23.03.2010
Issue SCN for revocation of consent to establish basedand SCN u/s 33 (A)of Water Act for closure of the unit on findings of inspection and non installation of ETP.
31.03.2011
File be put administratively
File was put up  administratively and was decided to confirm closure direction.
	(1) ETP: No (As found during inspection)
(2) ECS: No (As found during inspection)
(3) D.G.Set: Nil
(4) Inspection details:Inspection conducted on 04.02.2010
Obseravtions:
- Unit enaged in mfg of confectionery itemst found in operation
-No ETP installed.
- No measures taken to channelise the emissions generated from the process.
- No acoustic enclosure and adequate stack ht. provided at the DG set which is installed on roof top of building.
(5) SCN u/s 31(A)/33(A)/5 of EPA details :SCN U/s 33A issued to the unit on 26.04.2010
                                                             SCN for refusal issued to the unit on 26.04.2010
                                                             No reply for either of the letters received.
(6) Closure directions  u/s 31(A)/33(A)/5 of EPA details : Issued on 23.08.2011
                                                                                  No reply received till date.
Compliance received from SDM Narela on 06.09.2011
	Ask the compliance from discom  & DJB.
	Ask the compliance from discom  & DJB.
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	25427
	7.04.2008
	pooja plating works
	109,pocket f, sec 1 DSIDC
	Bawana
 Industrial 
Area
	Orange
	Electropplating Job
	(1) CTE : Valid till  27.01.2001
(2) CTO: Not Applied
(3) CTO(R) :Not Applied
(4) Authorization under HWM Rules : No
(5) Date of Commissioning : May 2008
(6) BUA : 60 sq m
(7) Water consumption: 0.6 klit/day
(8) Ground Water : No
(9) Waste water discharge :
(a) Domestic effluent : 0.15 Klit/day
(b) Trade effluent: :0.4 Klit/day
	21.12.2009
issue consent to establish. Inspection be conduted.
09.11.2010
Issue SCN u/s  33 (A) of Water Act.
31.03.2011
File be put administratively.
File was put up  administratively and was decided to confirm closure direction.
	(1) ETP: Installed.
(2) ECS: No 
(3) D.G.Set: Nil
(4) Inspection details: Inspection conducted on 03.08.10
- the unit was found in operation
- ETP found established but no treatment was going on. The ETP consists of equalization, reaction cum settling tank,sluge drying bags.
-No filter media in the sludge drying bed was seen
- the condition of ETP is under installation as informed by the person contacted the ETP is yet to be put on operational. During inspection effluent generated from process discharged without treatment
(5) SCN u/s 31(A)/33(A)/5 of EPA details :SCN  33A issued to the unit on 13.12.2010
                                                             Reply received on 27.12.2010.
(6) Closure directions  u/s 31(A) and 33(A)  : Issued on 23.08.2011
                                                                 No reply received till date.
Compliance received from SDM Narela on 06.09.2011.
	Ask the compliance from discom  & DJB.
	Ask the compliance from discom  & DJB.
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	06.12.2007
	24425
	Delhi Sales Corporation 
	D-39, Sec-2
	Bawana
 Industrial 
Area
	Orange
	Offset Printing press
	(1) CTE : valid upto 03.12.2011.
(2) CTO:Not Applied
(3) CTO(R) :Not Applied
(4) Authorization under HWM Rules :No
(5) Date of Commissioning : N/A
(6) BUA : 250Sq mt
(7) Water consumption: 120 lpd
(8) Ground Water :No
(9) Waste water discharge :
(a) Domestic effluent : 95 lpd
(b) Trade effluent: nil
	20.10.2009- Issue consent to Establish.Subsequently,inspection be conducted.
23.03.2010
Issue SCN.
31.03.2011
File be put administratively.
File was put administratively and it was decided to confirm the closure direction.
	(1) ETP: No
(2) ECS: N/A 
(3) D.G.Set: nil
(4) Inspection details: Inspection conducted on 04.02.2010
-The Unit found operational and is engaged in the activity of offset printing press.
-One bore well exist and no information regarding CGWA permission.
- No proper measures taken to control the untreated effluents generated from making of rollers.
(5) SCN u/s 33(A)/ details :SCN  33A  issued to the unit on 26.04.2010
 No Reply received.
(6) Closure directions  u/s33(A)  : Issued on 23.08.2011
  No reply received till date.
	Ask the compliance from discom, DJB and SDM. 
	Ask the compliance from discom, DJB and SDM. 
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	Shri Sidhivinayak International
	G-1142, DSIDC
	Narela Indl. Area
	 
	Mfg. of PU Footwear
	 
	 
	ETP : Not applicable. 
ECS : Not installed. 
D.G. Set : Nil.
Inspected details : inspected on 19.10.2010 and following were observed : (i) Unit found operating without any consent and engaged in mfg. of poly urethane (PU) footwears using polyurethane and isocynate chemical etc. as raw material (ii) The mixing process is highly inflammable which results the foaming substnce to mfg. of the PU sole for footwear. (iii) No ECS ior channelization installed to control the process emission generated from moulding process and spray painting work. (iv) About 10-12 metal drum of capacity 200 litre each containing polyurethane and isocynate chemical exist. (v) No HWM Rules are compled with. 
SCN u/s 31(A) of the Air Act was issued on 12.01.2011.
Reply on 02.12.2010 and informed that they are ready to close the unit and requested to give two months time to shift the unit in other state.  
Direction for closure u/s 31(A) of the Air Act on 29.08.2011
Reminder letter issued to NDPL on 26.09.2011for disconnection of electricity / power supply. 
No reply received.  
	Ask the compliance from discom  & DJB and also ask the SDM for effective closure of the unit. 
	Ask the compliance from discom  & DJB and also ask the SDM for effective closure of the unit. 
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	Shiv Shakti Plastic
	T-1/87, Phase-I
	MANGOLPURI INDL AREA
	 
	Mfg. of Polyurethene (PU) Footwear
	 
	 
	ETP : Not applicable. 
ECS : Not installed. 
D.G. Set : Nil.
Inspected details : inspected on 22.01.2011 and following were observed : (i) Unit found operating polyurethane chemical & isocynae as raw material. (ii) Miing process is highly inflammable & resulting PU foam material to Mfg. PU sole / footwear. (iii) The activity falls under the prohibited list of MPD-2021 (iv) No ECS installed to control the process emissions genearted from the process. 
SCN u/s 31(A) of the Air Act was issued on 25.02.2011 and also a letter was issued to MCD on 25.02.2011 for taking necessary action for closure of hte unit in view of prohibition under MPD-2021.
Reply along with affidavit received on 15.03.2011 stating that they have stopped mfg. of PU footwear after receiving the notice and will remove plant for shifted at Bahadur GArh, Haryana within 2 months  because there is heavy plant and machinery involved to be shifted and will not operate unit and follow all the directions of DPCC. 
Letter for submission of bank guarantee of Rs. 50,000 under Air Act issued on 08.05.2011
No reply received.
Direction for closure u/s 31(A) of the Air Act on 29.08.2011
Reply along with affidavit received from Sh. Harvinder Pal Singh, Director, of M/s Stanchart Holding Pvt. Ltd., owner of the premises stating that M/s Shiv Shakti Plastic was tenant and they have vacated the factory long ago and requested to revoke the direcitons. 
Bank guarantee received from Sh. Harvinder Pal Singh, Director, of M/s Stanchart Holding Pvt. Ltd., owner of the premises on 09.09.2011
Inspection again conducted on 22.09.2011 and observed that M/s Shiv Shakti Plastic is not operating and vacant the premises and shifted to other place. However, other unit namely M/s Airen Plastic whose plant machinery is under installation comes to this premises which have applied for CTE on 08.09.2011  vide ID no 38052. 
	Ask the compliance from discom  & DJB.  Ask the landlord to submit the bank guarantee of Rs. One Lakh valid for one year in order to ensure that no unit will be allowed to establish / operate without prior consent from DPCC. If landlord submits the requisite bank guarantee, electricity  / water connection be restored for the premises. 
	The landlord has submitted bank guarantee of Rs. One Lakh and the new unit namely M/s Airen Plastic has applied for consent to establish for the plastic products. Electricity / water supply be restored for new unit. 
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	31512
	22.09.2009
	Bhagwati Industries
	H-200 Sec 1
	Bawana
 Industrial 
Area
	Orange
	Mfg of surgical instruments /appliances without buffing
	(1) CTE : valid upto 16.10.2007
(2) CTO: Applied on 22.09.2009
(3) CTO(R) :Not Applied
(4) Authorization under HWM Rules :N/A
(5) Date of Commissioning : October 2009
(6) BUA : 100 Sq mt
(7) Water consumption:300 lpd
(8) Ground Water :yes, found during inspection
(9) Waste water discharge :
(a) Domestic effluent : 250 lpd
(b) Trade effluent:nil
	07.10.09
Inspection be conducted. 
25.01.2010
Inspection be expedited.
19.08.2010
Issue SCN for refusal of consent and SCN u/s 31(A) of the Air Act. 
31.03.2011
File be put up administratively.
File was put up administratively and it was decided to issue Directions for Closure u/s 31 (A).
	(1) ETP: N/A
(2) ECS:  no
(3) D.G.Set: nil
(4) Inspection details: Inspection conducted on 10.03.2010. 
i. The unit was found in operation and is engaged in manufacturing of surgical instruments and appliances with buffing.
ii. No ECS was installed over the buffing machinery (3 nos.).
iii. Cutting of Stainless Steel sheets and aluminium sheets is done at the premises.
iv. No DG set found.
v. One bore well exists and no information regarding CGWA clearance.

SCN for Refusal of Consent issued to the unit on 27.09.2010
(5) SCN u/s 31(A):issued to the unit on 27.09.2010
                                                  No reply received 
(6) Closure directions  u/s 31(A)    : Issued to the unit on 29.08.2011                                                
                                                     No reply received 
	Ask the compliance from discom, DJB and SDM. 
	Ask the compliance from discom, DJB and SDM. 
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	26238
	01-07-2008
	CHIRANJI LAL JAIN OIL & FLOUR MILL
	E-47, SECTOR-2, DSIDC
	BAWANA INDUSTRIAL AREA
	Orange
	manufacturing of Moong Dal
	(1) CTE : issued on 15.06.2010.
(2) CTO:Not Applied
(3) CTO(R) :Not Applied
(4) Authorization under HWM Rules :N/A
(5) Date of Commissioning :  2008 
(6) BUA : 250 Sq mt
(7) Water consumption: :155 Lt/Day
(8) Ground Water :155 Lt/Day
(9) Waste water discharge :
(a) Domestic effluent :  70 Lt/Day
(b) Trade effluent:Nil

	07.05.2010
Issue consent to establish. Subsequently inspection be conducted
09.11.2010
Issue SCN u/s 31(A) of the Air Act. 
31.03.2011
File be put up administratively.
File was put up administratively and it was decided to confirm closure directions u/s 31 (A) of the Air Act.
	(1) ETP:N/A
(2) ECS: yes (Bag filter)
(a) AR :No
(b) Stack monitoring report  :No
(c)number of parameters analyzed which are within limit / beyoud prescribed limit :N/A
(3) D.G.Set: 15 kva
(a) Noise monitoring report :N/A
(4) Inspection details:Inspection conducted on 02.08.2010 and following were the deficiencies.:-
- the unit was found in operation during the inspection.
- the unit having two drying chambers open from the top in which hot air is being given thruogh HSD Fired burners for drying of excessive moisture contents.
- Although the unit having a 96 bags. Bag house arrangement for trap of the emissions generated during the process.
- the process emissions from the different source being carried out though two Id. fans fitted with separate ducts, which connected  to the said bag house, no stack with bag house provided and the emissions after the bag house being dispersed through horizontal duct.
- The stack with dryer(HSD fired) were also found inadequate in height.
- The ducts/ Elevators provided/connected to each unit especially sievers/ destonres were found leaked at several points and in house conditions were found in very bad conditions. Lots of dust  was found spread over entire plant.
 (5) SCN u/s 31(A):issued to the unit on 13.12.2010
                           Reply received on 27.12.2010                                   
(6) Closure directions  u/s 31(A) and 33(A)  : Issued to the unit on 29.08.2011
     No reply received till date.
	Ask the compliance from discom, DJB and SDM. 
	Communication received from the unit stating that electricity has been disconnected. Ask the compliance from DJB and SDM. 

	83
	24207
	14.11.2007
	Vijay Home Appliances
	C-291, Sec 2
	Bawana
 Industrial 
Area
	Orange
	Mfg. of Aluminium Ingots
	(1) CTE :Applied on 14.11.2007.
(2) CTO:Not Applied
(3) CTO(R) :Not Applied
(4) Authorization under HWM Rules :
(5) Date of Commissioning : N/A
(6) BUA : 250Sq mt
(7) Water consumption: 200 lpd
(8) Ground Water :200 lpd
(9) Waste water discharge :
(a) Domestic effluent : 150 lpd
(b) Trade effluent: nil
	20.10.2009
Inspection be conducted.
12.02.2010/15.02.2010
Issue SCN for closure on basis of findings of inspection.
31.03.2011
File be put administratively.
File was put administratively and it was decided to confirm the closure direction.
	(1) ETP: N/A
(2) ECS: No 
(3) D.G.Set: 60 KVA
(4) Inspection details: Inspection conducted on 18.03.2010. 
- the unit was found engaged in mfg. of aluminium ingots.
- One electric oven installed and used for  heating of ingots
-2 nos. boilersfound at the ground floor with stack height of 23 feet from ground floor and 1.5 mt above the roof level.
- One DG set of 60 KVA found installed at terrace without acoustic enclosure kept in a room.
(5) SCN u/s 31(A)/33(A)/5 of EPA details :SCN  33A and 31 A issued to the unit on 25.03.2010
                                                             Reply received on 08.04.2010.
(6) Closure directions  u/s 31(A) and 33(A)  : Issued on 2.09.2011
                                                                 No reply received till date.
Directions issued to the unit has been returned back with the remarkes that premises is vacant. 
	Ask the compliance from discom, DJB and SDM. 
	Ask the compliance from discom, DJB and SDM. Also inspection be conducted. 
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	20223
	19-12-2006
	PLAZA SALES  COPRORATION
	PLOT NO-75, POCKET-H, SECTOR-4, DSIDC
	Bawana
 Industrial 
Area
	 
	Mfg. of CP Bathroom fittings with electroplating with buffing , mfg. of PVC sanitary fittings by hand molding machine 
	(1) CTE : Valid upto 27.10.2010
(2) CTO:Not Applied
(3) CTO(R) :Not Applied
(4) Authorization under HWM Rules :No
(5) Date of Commissioning :Feb 2007
(6) BUA : 90Sq mt
(7) Water consumption: 2000 lpd
(8) Ground Water :2000 lpd
(9) Waste water discharge :
(a) Domestic effluent : 450 lpd
(b) Trade effluent:1500 lpd
	30.01.2008
 Ask to apply for authorization under HWM Rules.
Applied for authorization under HWM Rules on 15.04.2008 (ID No. 4548).
09.09.2009
Issue Consent to Establish and subsequently inspection be conducted to know the present status of the unit. 
31.03.2011
File be put administratively.
File was put administratively and it was decided to confirm the closure direction.
	(1) ETP: yes (as per photograph submitted with reply on 14.05.2010
(a) AR dated : Not submitted
(b) Effluent analysis report :No
(c)  number of parameters analyzed which are within limit / beyond prescribed limit : N/A 
(2) ECS: yes (as per photograph submitted with reply on 14.05.2010
(a) AR : Not submitted
(b) Stack monitoring report  :no
(c)number of parameters analyzed which are within limit / beyoud prescribed limit :N/A
(3) D.G.Set: nil
(4) Inspection details: Inspection conducted on 01.12.2009
-ETP found installed but not in operation.However, electroplating activity carried out.
-3 buffing machine without ECS found installeed.
-One borewell exists. 
-No information regarding DJB permission.
 (5) SCN u/s 31(A)and 33(A) : Issued on 25.03.2010
   reply received on 14.05.2010
(6) Closure directions  u/s 31(A) and 33(A)   : Issued on 02.09.2011.
   No reply received till date.
Unit has submitted its reply along with affidavit, adequacy report dated June 2010 received stating that buffing activity has been removed and requested to revoke the closure directions as they haved rectified all the deficiencies. 
	Ask the compliance from discom, DJB and SDM. Ask the unit to submit bank guarantee of Rs. One Lakh each under Air Act, Water Act and HWM Rules valid for one year. If unit submits the bank guarantee, closure directions be revoked. 
	Ask the compliance from discom, DJB and SDM.
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	NA
	NOT APPLIED
	VIKAS ALUMINIUM MFG. CO
	PLOT NO-117, FIE
	PATPARGANJ INDUSTRIAL AREA
	ORANGE
	Aluminium casting
	((1) CTE :Not Applied
(2) CTO:Not Applied
(3) CTO(R) Not Applied
(4) Authorization under HWM Rules :Not Applied
(5) Date of Commissioning : OPERATING
(6) BUA : Not Applied
(7) Water consumption: Not Applied
(8) Ground Water :Not Applied
(9) Waste water discharge :Not Applied
(a) Domestic effluent :Not Applied 
(b) Trade effluent: Not Applied
	 Directions for closure has been issued on 06.09.2011 regarding ECS.
	(1) ETP: NA…
(2) ECS: Not installed 
(3) D.G.Set: ..NIL.
(4) Inspection details:06.10.2010: No ECS found
(5) SCN u/s 31(A) details :07.10.2010.
(6) Closure directions  u/s 31(A) details : 06.09.2011.    
	Ask the compliance from discom  & DJB and also ask the SDM for effective closure of the unit.
	Ask the compliance from discom  & DJB and also ask the SDM for effective closure of the unit.
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	NEETU DYEING
	I-2145, DSIDC
	NARELA IND AREA
	 
	Jeans dyeing and washing
	(1) CTE :(Y) Vide C.No.1371 issued on 04.01.02 and valid upto 02.09.03
(2) CTO:
(3) CTO(R) :
(4) Authorization under HWM Rules :
(5) Date of Commissioning : 
(6) BUA : 
(7) Water consumption: 
(8) Ground Water :
(9) Waste water discharge :
(a) Domestic effluent : 
(b) Trade effluent: 
	25.11.2010
Issue SCN u/s 31 (A) of the Air Act, u/s 33 (A) of the Water Act and u/s 5 of EPA.
	(1) Inspection details: Inspection of the unit was conducted on 19.10.2010.
Observations:
1. Unit inspected and booked as the huge coloured effluent is 
being discharged into open drain & spread over road surface.
2. Unit found operating without any consent & without using ETP 
and enaged in jeans dyeing.
3. One coal fired boiler lying defunct at Ground floor & electric 
boiler (Baby) operates at first floor spray painting (without channelization 
done at first floor).
4. D.G set is without accoustic & inadequate stack.
(2) SCN u/s 31(A)/33(A)/5 of EPA details : Issued on 02.02.2011.
Reply has been received on 17.02.2011 stating that unit is under process 
of completing all the formalities related to HWM Rules and applying
 the consent to operate.
Reply has been received 23.02.2011 alongwith an affidavit stating 
that unit is under the process of installing ETP. 
(3) Closure directions  u/s 31(A)/33(A)/5 of EPA details : Issued on 30.05.2011.
Reply has been recevied on 11.07.2011 stating that unit has installed ETP & 
removed the D.G Set from premises and the coal fired boiler & electric boiler
 not in use. Also under the process for applying for consent.
(4) Closure directions  u/s 31(A)/33(A)/5 of EPA details : Issued on 06.09.2011.
Reply has not been received.
	Ask the compliance from discom  & DJB and also ask the SDM for effective closure of the unit.
	Compliance from NDPL received and unit has submitted its reply along with affidavit on 13.10.2011. Ask the compliance from DJB and also ask the SDM for effective closure of the unit. Ask the unit to submit technical adequacy report of the ETP from empanelled consultant of DPCC for further necessary action. 
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	Shiva International Apperals
	A-33/2, Phase-I
	Mayapuri Industrial Area, Delhi
	Green
	Readymade garments without dying./washing/ trade effluent
	(1) CTE :Applicaton dated 22.09.2008 refused on 13.07.2009 vide Refusal on 1796.
Applied on 01.10.2010 vide ID no 35271.
(2) CTO:Issued valid upto 03.06.2007
(3) CTO(R) :Application dated 22.09.2008 refused on 13.07.2009 vide refusal on 1797.
(4) Authorization under HWM Rules :Not applied 
(5) Date of Commissioning : Dec 2010
(6) BUA : 503. 40 sqm
(7) Water consumption: 200 LPD
(8) Ground Water :NIL
(9) Waste water discharge :
(a) Domestic effluent : 100 LPD
(b) Trade effluent: NIL
	Decision on 17.02.2011
Inspection on expedited
Decision on 23.05.2011
Issue SCN for refusal of consent ans SCN u/s 33 (A) of the Water Act and 31 (A) of the Air Act.
	(1) ETP: Not installed. 
(2) ECS:Not installed.  
(3) D.G.Set: 125 KVA. NMR not submitted
(4) Inspection details:conducted on 24.02.2011, during the inspection following were observed:
i) Effluent generated from the process was discharged directly into the sewer without any treatment. ETP has not been installed.
ii) One oil fired boiler was found installed without adequate stack height.
iii) One DG set of 125 KVA found installed without adequate stack height.
(5) SCN u/s 31(A) & 33(A) issued on 21.07.2011. 
Unit replied vide letter dated 09.08.2011 ineralia stating that order for the ETP has been placed. 
(6) Closure directions 33(A) issued on 06.09.2011
	Ask the compliance from discom & DJB and also ask the SDM for effective closure of the unit.
	Unit has submitted its reply along with affidavit and photographs on 28.09.2011. Ask the compliance from discome, DJB and also ask the SDM for effective closure of the unit. Ask the unit to submit technical adequacy report of the ETP from empanelled consultant of DPCC for further necessary action. 
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	RADHIKA PROCESSORS
	A-16, DSIDC COMPLEX, PHASE-III
	BADLI INDL ESTATE
	 
	Dyeing  and Washing of jeans.
	 
	 
	(1) Inspection details: Inspection of the unit was conducted on 06.06.2011:
Observations:
1. No ETP installed to treat the trade effluent.
2. Unit is using one coal fired boiler without any emission control system
3. Unit was inspected as huge effluent and black smok observed.
(2) SCN u/s 31(A)/33(A)/5 of EPA details : issued on 27.06.2011.
Reply has been received on 19.07.2011 alogwith an affidavit stating that
 you have started work for installation of ETP and convert coal fired boiler to
 oil fired boiler, submitted the copy of quotation of ETP & oil fired boiler. Further, 
requested for 3-4 month time to complete the work.
(3) Closure directions  u/s 31(A)/33(A)/5 of EPA details : Issued on 08.09.2011.
Reply has been not received.
	Ask the compliance from discom  & DJB and also ask the SDM for effective closure of the unit.
	Ask the compliance from discom  & DJB and also ask the SDM for effective closure of the unit.
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	30130
	01.06.2009
	SHAILESH KUMAR AGGRAWAL
	PLOT NO-1/536-B/14, GALI NO-5
	FRIENDS COLONY INDUSTRIAL AREA
	ORANGE / ESTABLISH
	Al wire, super enameling
	(1) CTE :valid upto 03.06.2011.
(2) CTO:Not applied
(3) CTO(R) :Not applied
(4) Authorization under HWM Rules :11.05.2009, Not applied afresh.
(5) Date of Commissioning : 2008
(6) BUA : 62 Sqm
(7) Water consumption: 100 LPD
(8) Ground Water :NIL
(9) Waste water discharge :
(a) Domestic effluent : 50 LPD
(b) Trade effluent: NIL
	 Directions for closure has been issued on 19.09.2011 regarding ECS.
	(1) ETP: NA
(2) ECS: provided
(a) AR dated ……NA……….issued by ……NA…………..submitted. 
(b) Stack monitoring report dated …NO……….issued by ……NA…………..submitted
(c) ...NA….......number of parameters analyzed which are within limit / beyoud prescribed limit.  
(3) D.G.Set: ..125 KVA but not shown in application.
(a) Noise monitoring report of .....NO….......KVA dated......NA…..........issued by ...NA…........submitted and noise levels are within limit / beyond limit. 
(b) Stack monitoring report (for more than 1000 KVA) dated .....NA….......... issued by ......NA…..........submitted and parameters within limit / not satisfactory. 
(4) Inspection details:12.07.2010: AE with DG set not found. CTO not applied. only slip of payment submitted for stack monitoring.
(5) SCN u/s 31(A) details :20.06.2011.
(6) Closure directions  u/s 31(A) details : 14.09.2011.     
                                                                                                                                    
	Ask the compliance from discom  & DJB and also ask the SDM for effective closure of the unit in view of the super enamelling activity. 
	Decision taken on file be persued. 
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	NA
	NOT APPLIED
	VEE KAY
	PLOT NO-421-B, GALI NO-6
	FRIENDS COLONY INDUSTRIAL AREA
	ORANGE
	Injection moulding with recycled dana.
	((1) CTE :Not Applied
(2) CTO:Not Applied
(3) CTO(R) Not Applied
(4) Authorization under HWM Rules :Not Applied
(5) Date of Commissioning : OPERATING
(6) BUA : Not Applied
(7) Water consumption: Not Applied
(8) Ground Water :Not Applied
(9) Waste water discharge :Not Applied
(a) Domestic effluent :Not Applied 
(b) Trade effluent: Not Applied
	 Directions for closure has been issued on 06.09.2011 regarding ECS.
	(1) ETP: NA
(2) ECS: No
(3) D.G.Set: ..NIL..
(4) Inspection details:12.05.2010: ECS/chanelization not found
(5) SCN u/s 31(A)/33(A)/5 of EPA details :04.10.2010.
(6) Closure directions  u/s 31(A)/33(A)/5 of EPA details : 14.09.2011.     
	Ask the compliance from discom  & DJB and also ask the SDM for effective closure of the unit.
	Ask the compliance from discom  & DJB and also ask the SDM for effective closure of the unit.
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	28018
	04.11.2008
	CALCUTTA CABLE
	PLOT NO-32-A, GALI NO-6
	FRIENDS COLONY INDUSTRIAL AREA
	ORANGE / ESTABLISH
	Super Enameling
	(1) CTE :04.11.2008
(2) CTO: valid upto 25.07.2005
(3) CTO(R) :Not Applied
(4) Authorization under HWM Rules :Not Applied
(5) Date of Commissioning : 2002.
(6) BUA : 200 Sqy
(7) Water consumption:100 LPD
(8) Ground Water :NIL
(9) Waste water discharge :
(a) Domestic effluent : 50 LPD
(b) Trade effluent: NIL
	14.09.2011: File was put up administritavly and closure directions issued.
	(1) ETP: NA
(2) ECS: provided
(3) D.G.Set: ..625 KVA but not shown in application.
(4) Inspection details:12.05.2010: ECS/chanelization not found
(5) SCN u/s 31(A) details :09.06.2010.
(6) Closure directions  u/s 31(A) details : 14.09.2011.     
	Ask the compliance from discom  & DJB and also ask the SDM for effective closure of the unit.
	Response received from SDM. Inspection be conducted and file be put up administratively within 10 days.  
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	30924
	29.07.2009
	S.R. CABLE 
	PLOT NO-421-B, GALI NO-6
	FRIENDS COLONY INDUSTRIAL AREA
	ORANGE
	PVC Wire and Cables
	(1) CTE :29.07.2009.
(2) CTO:No
(3) CTO(R) :No
(4) Authorization under HWM Rules :No
(5) Date of Commissioning : 2009.
(6) BUA : 111 Sqm.
(7) Water consumption: 120 LPD
(8) Ground Water :Yes
(9) Waste water discharge :
(a) Domestic effluent : 50LPD
(b) Trade effluent: NIL
	 Directions for closure has been issued on 06.09.2011 regarding ECS and concealing D.G set .
	(1) ETP: NA
(2) ECS: No 
(3) D.G.Set: ..NIL..
(4) Inspection details:12.05.2010: ECS/chanelization not found
(5) SCN u/s 31(A)/33(A)/5 of EPA details :04.10.2010.
(6) Closure directions  u/s 31(A)/33(A)/5 of EPA details : 14.09.2011.     
	Ask the compliance from discom  & DJB and also ask the SDM for effective closure of the unit.
	Response received from SDM. Inspection be conducted and file be put up administratively within 10 days.  
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	37568
	08.07.11
	GEE ESS PEE LAND DEVELOPERS (P) LTD (OWNER OF BRIJ GREEN FARM)
	A-35, VILLAGE SATBAHRI, MEHRAULI
	NC-S
	 
	 
	(1) CTE : issued on 6.09.11 vd CNO 27841
(2) CTO: applied on 08.07.11 vd ID 37568
(3) CTO(R) :
(4) Authorization under HWM Rules :
(5) Date of Commissioning : 
(6) BUA : 
(7) Water consumption: 
(8) Ground Water :
(9) Waste water discharge :
(a) Domestic effluent : 
(b) Trade effluent: 
	                10.08.11
 Applied for CTO on 08.07.2011 and reply received on 11.07.2011. Closure directions be revoked and issue consent to establish. Also ask the unit to submit effluent analysis report from approved laboratory of DPCC.
	File is under submission
(1) ETP: …………
(a) AR dated ………….issued by ……………..submitted. 
(b) Effluent analysis report dated ………….issued by ……………..submitted.
(c) ..........number of parameters analyzed which are within limit / beyoud prescribed limit. 
(2) ECS: …………
(a) AR dated ………….issued by ……………..submitted. 
(b) Stack monitoring report dated ………….issued by ……………..submitted
(c) ..........number of parameters analyzed which are within limit / beyoud prescribed limit.  
(3) D.G.Set: ................
(a) Noise monitoring report of ............KVA dated................issued by ...........submitted and noise levels are within limit / beyond limit. 
(b) Stack monitoring report (for more than 1000 KVA) dated ............... issued by ................submitted and parameters within limit / not satisfactory. 
(4) Inspection details:
(5) SCN u/s 31(A)/33(A)/5 of EPA details :
(6) Closure directions  u/s 31(A)/33(A)/5 of EPA details :
Case was taken up by CMC in its meeting held on  10.08.11 & it was decided to revoke the closure direction & issue CTE. 
The file under submission for approval of demand of BG 
before revocation of closure direction & issuance of CTE
	File has been put up administratively. 
	Decision taken on file ratified. 


