 Minutes of the 104th meeting of the Committee Constituted for Deciding the Consent under Orange Category, held on 12.03.2009 in the Conference Room of Chairman, DPCC.

   The following persons attended the meeting:

1. Sh. J. K Dadoo, Chairman DPCC

2. Dr. A.K.Ambasht, Member Secretary, DPCC

3. Sh. S.K.Gupta, Head Chemical Engineering Deptt. ,IIT Delhi 

4. Sh. B. Kumar, SEE, DPCC

5. Sh. M. Dwarakanth, SSO, Dept. of Env,. GNCTD.

6. EEs  of CMC – I, II & III/PGRC.

7. AEEs and JEE of CMC – I & II.
8. AEE, PGRC.
In addition to above, Trainees of CMCs, PGRC & SIT also attended the meeting.

Following decisions were taken in the said meeting:- 
Agenda Item No.1-   Personal hearings 
(i) Parsvnath Developers Ltd Commercial Project Azad Pur
The unit came for personal hearing today. It confirmed that it has not undertaken any construction on the commercial plot area ‘A’ which as per the revised application is 10474 sqm. The built up area of the existing construction work is reported as 19155.7 sqm excluding the platform (station), as per SIT report dated 30.06.2008. SIT-I to inspect and report on the following:- 
(a) Total land area to be used exclusively for the commercial purpose.

(b) Whether any type of construction or any other activity has been started on the land area exclusively for commercial complex.

Call on 22.04.2009.

(ii) India Coloniser Pvt. Ltd (const. of Commercial Complex at M-6 Plaza NHCC Jasola)
The unit came for personal hearing today. It has confirmed that the STP has been installed and filed some photographs. Let the unit file the water balance chart and latest adequacy report from any of the empanelled agencies of DPCC. Call on 22.04.2009.
(iii) DMRC, Plot No 1,  IT Park, Shastri Park, GT Road ; (iv) DMRC, Plot No 2, IT Park, Shastri Park, GT Road ; (v) DMRC, I.T. Park, Block No 3, Shastri Nagar, Delhi
The unit came for personal hearing today. The unit is directed to file the following:-
(a) Latest adequacy report of the 650 KLD capacity STP from any of the empanelled agencies of DPCC.

(b) Water mass balance chart.

(c) Technical proof and drawing showing that the entire treated waste water will be used in adjoining DMRC depot and other premises which will be inspected by SIT before granting any relief.

Call on 22.04.2009.

(vi) D.D. AUTO WORLDS PVT. LTD, C-51, Phase-II, Okhla Industrial Area
The unit came for personal hearing today. It claims that it has installed ETP of 1 KLD while the water drawal as per Consent to Establish application is 9 KLD. Unit is directed to install ETP of same capacity and confirm. Call on 22.04.2009.

(vii) Piccadily Hotel at District Center, Janakpuri, Delhi
The unit did not come for personal hearing today. Call for personal hearing on 22.04.2009 at 5.00 PM. In the meantime unit be asked to comply with all the earlier directions. 

(viii) M/s Moti Mahal Delux Restaurant & Bar
The unit came for personal hearing today. It claims that it has contacted a consultant to get the oil & grease trap properly installed. The unit may correct all the deficiencies noted during inspection and submit an effluent test report from any of the approved laboratories of DPCC, by 22.04.2009. The unit to file Consent to Establish also. Call on 22.04.2009.
(ix) Chief General Manager (Project), National Highway Authority of India, Plot No G-5 & 6, Sector-10, Dwarka
The unit did not come for personal hearing today. MS to talk to NHAI officials concerned and ask them to appear before him to resolve this high air pollution problem. Call on 22.04.2009.

(x) Genious Promoters And Developers Pvt. Ltd. Constructed Shop N Park Mall, CBD Ground, Near Karkardooma Court, Delhi-92
The unit came for personal hearing today.  It claims that the premises is locked in view of the depressed economic conditions. The unit was clearly informed that it must apply for Consent to Operate before operating the mall and set up STP to cover entire waste water generation of 29 KLD. Call on 22.04.2009.
(xi) Hilton Garden Inn, Plot No. 1 B - 4, Twin District Centre,  Sec - 10, Rohini, Delhi – 85
The unit came for personal hearing today. It says that if there is any tree within the premises of the project, it will take tree cutting permission. With the tree cutting permission, Consent to Establish will be granted. Call on 22.04.2009.  
(xii) Shah Namkeen, Chander Nagar, Delhi

The unit did not come for personal hearing today.  Issue final notice for personal hearing on 02.04.2009 at 7.00 PM or in case of failure to avail the aforesaid opportunity of hearing, order for closure will be issued under relevant laws. 
Agenda Item No.2-   PGRC cases.
Decisions taken with respect to this agenda are tabulated and annexed as Annexure – 1.
Agenda Item No.3-   Special reference cases.
Decisions taken with respect to this agenda are tabulated and annexed as Annexure – 2.
Agenda Item No.4-   Shopping Mall cases

Decisions taken with respect to this agenda are tabulated and annexed as Annexure – 3.
Agenda Item No.5-   Construction Projects cases
Decisions taken with respect to this agenda are tabulated and annexed as Annexure – 4.
Agenda Item No.6-    CBI reference cases.
Decisions taken with respect to this agenda are tabulated and annexed as Annexure – 5.
Agenda Item No.7-  Illegal operation of runway No. 3 - IGI.
Call on 2.04.2009

Agenda Item No.8-  Use of CNG/PNG in place of coal– e-mail dated 28.02.2009 to Chairman, DPCC.
A public notice has been issued that the units which are interested in using gas for industrial purpose, may send their requirement directly to IGL. A copy of public notice may be sent to the unit. 

Agenda Item No.9-  Representation from New Rohtak Road Manufacturers Association – request for renewal / issuing of consent from DPCC.
Call on 02.04.2009

Agenda Item No.10- Proposal from IIT, Delhi on colour removal from textile dyeing effluent, through chemical coagulation. 

Let the institute make a presentation in the appropriate Committee of the Environment  Department where MS, DPCC will also be present.
Agenda Item No.11-  Draft amendment of EIA notification dated 14.09.2006

Send the draft to SEAC for providing the comments to MOEF.
Agenda Item No.12-  Case of compost plant at Tikri Khurd / Khampur

MS to talk to DDA and Airport Authority and put up in CMC (MSW).
Agenda Item No.13-  Grievances of citizen’s forum, Residents of Sukhdev Vihar, Haji Colony and Gaffar Manzil dated 25.02.2009 regarding request to stop planning / implementing hazardous projects in Delhi near Sukhdev Vihar, Haji Colony and Gaffar Manjil.

A suitably drafted reply be put up on file administratively. 

Table Agenda Item No.1: M/s K.K. Plastic, C-282, Sharma Market, Surajkund, Pul Pehladpur, Delhi

Sample be sent to M/s Shriram Institute of Industrial Research. Call on 09.04.2009.

Table  Agenda Item No.2: Implementation of the policies and proposal of Regional Plan – 2021; letter dated 03.03.2009 received from Dy. Secretary (PWD) regarding.

Call on 20.03.2009.

Table  Agenda Item No. 3: Letter dated 23.02.2009 received from GAIL regarding extension of Consent to Establish for Gurgaon – Jhajjar Pipeline including Spurline to Bammanuli.

Time extended for one year as requested for. 

Table  Agenda Item No. 4: Letter dated 23.02.2009 received from GAIL regarding extension of Consent to Establish for Dadri-PPCL Bawana Pipeline.

Time extended for one year as requested for. 

Table  Agenda Item No. 5: Representation of M/s Tirupati Building & Offices (P) Ltd., Plot No 3, Sector-10, Dwarka, New Delhi-75 regarding refund of penalty deposited with DPCC. 

Unit sought refund of the environment damages and Bank Guarantee. The Committee deliberated on the issue and decided against it because the units which have been granted exemption from environmental damages and Bank Guarantee on account of Commonwealth Games urgency have been imposed very stringent conditions of environmental protection which will involve a much larger investment. Call on 22.04.2009.
Table  Agenda Item No. 6: Testing of plastic bags sample. 

Whatever plastic bags testing is being done in DPCC, full precautions will be taken to ensure that DPCC being a regulatory body should not be called into question  for any inaccurate testing. 

Table Agenda Item No 7 : Inspections conducted by SIT-I. In pursuance of decision of CMC dated 04.03.2009, the SIT-I conducted the inspections in 26 cases. The Committee took the following decisions :-
Sl. No 1: Sheesh Pal Singh Vs. GNCTD 
File be submitted administratively. 
Sl. No 2 : Petition of Sh. Sadique Qurshi Ahata Kidara, Qayamuddin Qureshi Road, Quresh Nagar, Sadar Bazar, Delhi-06 

.

MS to draft appropriate reply based on the SIT report and send it to complainant. Call on 22.04.2009
Sl. No 3: - Complaint against Bakery units operating in Rani Garden Extention, M0hammadi Masjid Wali Gai, Shastri Nagar, Delhi-31
Sh. A.N. Singh, Member of SIT-I may discuss this case with Chairman to ensure address is located.
Sl. No 4 : DPCC Vs. Kishan Lal / 1968, Katra Kushal Rai Sheesh Mahal, Kinari Bazar, Delhi-06 
No action.

Sl. No 5 : DPCC Vs. Asif, 695, Chandni Chowk (Backside), Darya Ganj 

Sh. A.N. Singh, Member of SIT-I may discuss this case with Chairman to ensure address is located.

Sl. No 6 : DPCC Vs. Bashiruddin (Sl. No 6)

Sh. A.N. Singh, Member of SIT-I may discuss this case with Chairman to ensure address is located.

Sl. No 7 : DPCC Vs. Hindustan dyeing & Painting Works, OIA 
Ask the unit to remove the chemical jars lying at site and submit an affidavit in this regard. Call on 22.04.2009
Sl. No 8 : Complaint against M/s Jay Kay Enterprises, A-127, WIA.

Call on 15.04.2009 along with other cases of WIA.

Sl. No 9: Discharging untreated effluent by Restaurants in Defence Colony Market 
The SIT-I has inspected 21 number of restaurants / eating houses in the area. Following action may be taken :-

(i) Ask these units to apply for Consent to Establish
(ii) Ask these units to correct all the deficiencies found during inspection by SIT and to install ETP wherever seating capacity is more than 100 seats.

Call on 22.04.2009
Sl. No 10:  M/s Ganpati Enterprises, D-46, SMA Indl. Area 
Ask both the new units namely M/s S.R. Wire & M/s Bal Kishan Vinay Kumar to apply for Consent to Establish and correct the deficiencies observed during inspection by SIT. Call on 22.04.2009.
Sl. No 11: DPCC Vs. Nandi Ballaha Joshi, WZ-480-C,  Basai Daraur, Delhi-15
Sh. A.N. Singh, Member of SIT-I may discuss this case with Chairman to ensure address is located.

Sl. No 12 : DPCC Vs. Gurmeet Singh Bhatia, WZ-480-C,  Basai Daraur, Delhi-15 

Sh. A.N. Singh, Member of SIT-I may discuss this case with Chairman to ensure address is located.

Sl. No 13 : Asia Tower Banquet, Khel Gaon, Delhi (Jhankar Banquet) 
Ask the unit to correct the deficiencies found during inspection by SIT. Call on 22.04.2009. 
Sl. No 14 : Sodhi Bhatta Co. & Another Petition Vs. Union of India 
Sh. A.N. Singh, Member of SIT-I may discuss this case with Chairman to ensure address is located.

Sl. No 15 ; M/s Surender Kumar & Co., S-11, Badli Industrial Area 
Issue notice for closure u/s 33(A) of the Water Act in view of the observations of SIT inspection. Call on 22.04.2009
Sl. No 16 : Siddartha International School, Delhi 
SIT-I found two units operating in the name of M/s R.K. Industries and Shri Brij Mohan engaged in aluminium wire drawing. Forward these cases to Commissioner of Industries for necessary action. Call on 22.04.2009.
Sl. No 17 : DPCC Vs. Liquat Electroplating, 321, Bharti Nagar 
No action. Let SIT-I report be placed in court case file of Legal Cell. 

Sl. No 18 : DPCC Vs. Rajendra Zinc Works, B-1280, Shastri Nagar 
Let SIT-I report be placed in court case file of Legal Cell.
Sl. No 19: DPCC Vs. Veer Electroplating, 3046, Charakhawalan Ballimaran, Delhi-06 
Let SIT-I report be placed in court case file of Legal Cell.

Sl. No 20 : Complaint against steel furniture & Almirah, A-216, Dhakk, Parmanand Colony, Delhi-09 
SIT-I found that manufacturing of steel almirah is carried out at E-216, Send the case to Commissioner of Industries for necessary action. Call on 22.04.2009.

.
Sl. No 21 : Mohd. Saied Vs. Ajay Aggarwal 
Ask the unit to come for personal hearing on 22.04.2009 at 6.00 PM.
Sl. No 22 : Complaint against WIA 

SIT-I inspected 26 number of units. All these cases be listed on 15.04.2009 along with other cases of WIA.

Sl. No 23 : M/s Sushil Gupta Wiperman, A-826, Shastri Nagar 
No action.

Sl. No 24: RTI sought by Sh. Avinash, Sector-6, Dwarka

File be submitted administratively without waiting for minutes. 

Sl. No 25: Complaint received from Surag Suspense against units operating in WIA

SIT-I inspected 03 number of units. All these cases be listed on 15.04.2009 along with other cases of WIA.

Sl. No 26 : DLF Universal Ltd.  Construction of Commercial Complex name DLF Court Yard at  Plot No. A4 & P-1A,  Saket Place, New Delhi-17

The case has already been considered at Sl. No 8 of Agenda Item No 4.

Meeting ended with thanks to the Chair.

	Sno.
	Name
	Activity
	Facts of The Case
	Earlier Decision
	Action Taken
	Decision on 12.03.09

	1
	M.K. Metal
A-7/5, Jhilmil Indl. Area.
	Super enameling on Copper wire
	 Letter issued on 30.06.08. Unit has submitted BG of Rs 50,000 on 18.07.08. Letter issued to the unit on 04.09.08 regarding control measures for smell generated from the process.
Unit submitted its reply on 17.09.08 and inform that they have take control measures for smell generated from the process. An inspection was carried out by DPCC trainee on 16.01.09. During inspection Following were the observation:
1. ECS (wet scrubber) found in operation. No bypass arrangement is provided. 
2. Mild smell was observed near super-enameling plant. However, no smell was observed outside the premises. 
3. Unit is complying with HWM rules.
	Decision on 18.12.08:
PGRC trainee to inspect and report. Call on 21.01.09. 
Decision on 21.01.09: Compliance report every two months. Call on 12.03.2009.
	Letter issued to the unit on 02.03.09. Reply awaited.
	Call on 22.04.2009

	2
	Bhandari Farm, Chattarpur Temple Road, Chattarpur, Mehrauli
	Farm house
	The unit called for personal hearing on 30.09.2008. The unit did not come. However, a representation was received from the unit. As decided in CMC on 30.09.08, the unit was inspected by SIT on 29.10.08.  A letter was issued on 20.11.08 for submission of structural and built up area drawing submitted to DDA/MCD. Final reminder issued to the unit on 14.01.09. Reply received on 19.01.09 and request to send copies of I/R. No information regarding our letter.
	Decision on 23.12.08:            Issue final reminder. Call on 28.01.2009
Decision on 28.01.09:
Ask the unit to file the building plans and the unit can come and inspect the file for SIT report & Trainees, PGRC report. Call on 12.03.09.
	Letter issued to the unit on 10.02.09. Reply awaited.
	Issue final reminder for building plan. Call on 22.04.2009

	3
	Venus Metal Industries, A-42/3, Mayapuri Indl. Area, Delhi.
	Mfg of Bathroom fitting items.
	The unit was inspected by Er. Trainee on 18.11.08 w.r.t. a public complaint. During the inspection, the unit found operating and engage in mfg of bathroom fitting items with Electroplating. Unit didnot comply with the HWM Rules as the waste is not store in covered container and in isolated area and the labelling on the container was not proper.ETP was not operating at the time of inspection due to Batch Process, however, it was funtional. As approved, a letter was issued to the unit on 16.12.08 for submission of Adequacy report and complaince for HWM Rules. A notice was also issued to the unit for Reokation of CTO as there is no industry was operating in the premises no. A-42/2 by the name of  "Venus Metal Industries". Reply received form the unit on 19.12.008 and submit adequacy report of ETP. Letter issued to the unit on 19.01.09 o file Bank Guarantee of Rs. 50,000 each under Water Act and HWM Rules valid for one year to ensure that proper treatment continues regularly. 
CTO (renewal) valid upto 22.07.08, CTO (renewal-II) applied on 28.08.08, HWM authorisation applied on 07.08.06. 
	Decision on 23.12.08: Ask the unit to file Bank Guarantee of Rs. 50,000 each under Water Act and HWM Rules valid for one year to ensure that proper treatment continues regularly. Call on 28.01.2009.
Decision on 28.01.09: Issue final reminder. Call on 12.03.09.
	Letter issued to the unit on 10.02.09. Unit submit BG of Rs. 50,000 each under Water Act & HWM Rules.
	Issue Consent to Operate and authorization under HWM Rules. File be transferred to cocerned CMC for issuance of consent and authorization. Call on 22.04.2009

	4
	Complaint against M/s Mahinder Plastic Works,Plot No. 111. Gali No. 9, Near Police Station, Anand Parbat Industrial Area, New Delhi -05.
	Die making of electronic component.
	With reference to a public complaint received through Ratilal K.Varma, M.P regarding polluting paint/powder coating units operating at Plot No. P.P 24, Gali No. 10 & Plot No. 111, Gali No. 9 , Anand Parbat Industrial Area, the unit was inspected by SIT on 04.11.08. The unit was found engaged in die making of electronic components at ground floor. As per the records, unit was having CTO-GREEN for activity of Light Engg. job work (valid upto 18.07.07). Further, applied for CTO-ORANGE on 11.07.08. As approved notice under Air Act and Water Act was issued on 19.11.08. 
CTE applied on 11.12.08.
	Decision on 23.12.08: Call on 28.01.2009.
Decision on 28.01.09: Ask the unit to apply for CTE.
Decision on 28.01.09: Call on 12.03.09.
	 
	Call on 22.04.2009

	5
	Complaint against M/s Sh. Pankaj Badhuria, Plot No. 111. Gali No. 9, Near Police Station, Anand Parbat Industrial Area, New Delhi -05.
	Lath machine work .
	With reference to a public complaint received through Ratilal K.Varma, M.P regarding polluting paint/powder coating units operating at Plot No. P.P 24, Gali No. 10 & Plot No. 111, Gali No. 9 , Anand Parbat Industrial Area, the unit was inspected by SIT on 04.11.08. The unit was found engaged in lath machine work at ground floor. The unit has not obtained CTE.As approved notice under Air Act and Water Act was issued on 19.11.08.However, the same has been returned back undelivered, which was pasted in the premises of the unit on 02.12.08.Reminder notice under Air and Water Act was issued on 14.01.09. same was return back and pasted on 27.01.09.
	Decision on 03.12.08: Call on 23.12.2008
Decision on 23.12.08: Issue final reminder. Call on 28.01.2009
Decision on 28.01.09: Call on 12.03.09.
	Letter pasted on 27.01.09. Reply awaited.
	Paste another letter. Call on 22.04.2009

	6
	Complaint against M/s Ramlot Gupta, Plot No. 111. Gali No. 9, Near Police Station, Anand Parbat Industrial Area, New Delhi -05.
	manufacturing of plastic toys.
	With reference to a public complaint received through Ratilal K.Varma, M.P regarding polluting paint/powder coating units operating at Plot No. P.P 24, Gali No. 10 & Plot No. 111, Gali No. 9 , Anand Parbat Industrial Area, the unit was inspected by SIT on 04.11.08. The unit was found engaged in plastic toys manufacturing in a small room at ground floor .The unit has not obtained CTE . As approved notice under Air Act and Water Act was issued on 19.11.08.However, the same has been returned back undelivered, which was delivered by hand on 02.12.08 to the owner of the unit. Reminder notice under Air and Water Act was issued on 14.01.09. 
	Decision on 03.12.08: Call on 23.12.2008
Decision on 23.12.08: Issue final reminder. Call on 28.01.2009
Decision on 28.01.09: Call on 12.03.09.
	Letter pasted on 27.01.09. Reply awaited.
	Paste another letter. Call on 22.04.2009

	7
	Complaint against M/s N.K.Industries,Plot No. PP-24, Gali No. 10, Near Police Station, Anand Parbat Industrial Area, New Delhi -05
	Light Engineering work
	With reference to a public complaint received through Ratilal K.Varma, M.P regarding polluting paint/powder coating units operating at Plot No. P.P 24, Gali No. 10 & Plot No. 111, Gali No. 9 , Anand Parbat Industrial Area, the unit was inspected by SIT on 04.11.08. The unit was found engaged in light engineering work. The unit has not obtained CTE.As approved notice under Air Act and Water Act was issued on 19.11.08. Reminder notice under Air and Water Act was issued on 14.01.09. 
	Decision on 03.12.08: Call on 23.12.2008
Decision on 23.12.08: Issue final reminder. Call on 28.01.2009
Decision on 28.01.09: Call on 12.03.09.
	Letter pasted on 27.01.09. 
Unit submit its reply on  10.02.09 and sates that they are not carried out any manufacturing activities from Lathe machines under the name & style N.K.Industries,Plot and their premises is almost lying locked.
	Trainee, PGRC to inspect and report. Call on 22.04.2009

	8
	Complaint against M/s Naz International, Plot No. 111. Gali No. 9, Near Police Station, Anand Parbat Industrial Area, New Delhi -05.
	Manufacturing of oil seal rubber parts
	With reference to a public complaint received through Ratilal K.Varma, M.P regarding polluting paint/powder coating units operating at Plot No. P.P 24, Gali No. 10 & Plot No. 111, Gali No. 9 , Anand Parbat Industrial Area, the unit was inspected by SIT on 04.11.08. The unit was found engaged in manufacturing of oil sealed rubber parts.The unit has not obtained CTE/CTO.As approved notice under Air Act and Water Act was issued on 19.11.08. Reminder notice under Air and Water Act was issued on 14.01.09.
	Decision on 03.12.08: Call on 23.12.2008
Decision on 23.12.08: Issue final reminder. Call on 28.01.2009
Decision on 28.01.09: Call on 12.03.09.
	 
	Call on 22.04.2009

	9
	Complaint against M/s Khushnuma Paints/Khusharma Paints, Plot No. PP-24, Gali No. 10, Near Police Station, Anand Parbat Industrial Area, New Delhi -05
	powder coating
	With reference to a public complaint received through Ratilal K.Varma, M.P regarding polluting paint/powder coating units operating at Plot No. P.P 24, Gali No. 10 & Plot No. 111, Gali No. 9 , Anand Parbat Industrial Area, the unit was inspected by SIT on 04.11.08. The unit was found engaged in powder activity .The unit has provided channelisation and dust collection system( cyclone ) with powder coating booth and ventilation system with LPG fired ovens.However, no pollution control device has been provided with the LPG fired oven. The unit is also not complying with the provisions of HWM Rules. The unit has not obtained CTE.As per the records, unit was having CTO-Orange for activity of Powder coating without phosphating/ acid works (valid upto 28.07.05). As approved notice under Air Act and Water Act was issued on 19.11.08. Reminder notice under Air and Water Act was issued on 14.01.09. Unit has applied for CTR-Orange on 15.12.08. Reply received on 21.01.09 and informed that they have applied for CTR and no information regarding CTE is given.
 CTO valid upto 28.07.05, CTO(Renewal) applied15.12.08.
	Decision on 03.12.08: Call on 23.12.2008
Decision on 23.12.08: Issue reminder to the unit to apply for Consent to Establish. Call on 28.01.2009
Decision on 28.01.09: Ask the unit to apply CTE. Call on 12.03.09.
	Letter issued to the unit on 10.02.09 and unit submit Its reply that they have applied for CTO. No information regarding CTE.
	Ask the unit to apply for Consent to Establish. Call on 22.04.2009

	10
	Complaint against M/s Komal Powder Coating, A- 86/8 in front of Plot No. 111/9, Near Police Station, Anand Parbat Industrial Area, New Delhi-05.
	powder coating
	With reference to a public complaint received through Ratilal K.Varma, M.P regarding polluting paint/powder coating units operating at Plot No. P.P 24, Gali No. 10 & Plot No. 111, Gali No. 9 , Anand Parbat Industrial Area, the unit was inspected by SIT on 04.11.08. The unit was found engaged in powder activity .The unit has provided channelisation and dust collection system( cyclone )with powder coating booth.However , no ventilation and pollution control device has been provided with the LPG fired oven. The unit is also not complying with the provisions of HWM Rules. The unit has not obtained CTE. As approved notice under Air Act and Water Act was issued on 19.11.08.Letter was issued on 14.01.09. Reply received on 23.01.09 and informe that the propriter of the unit is expired. As per the records, unit was having CTO for activity of powder coating (valid upto 01.08.05) & CTR-Orange valid upto 26.10.08. Further, applied for CTR on 25.09.08 and renewal for authorization under HWM Rules on 10.08.06. Unit submitted its reply on 23.01.09 nad informed that the Proprieter of the unit has Expired on 08,Jan.Hence, seeks time for complaince.
	Decision on 03.12.08: Call on 23.12.2008
Decision on 23.12.08: Ask the unit to install channelisation system on powder coating oven. Call on 28.01.2009. 
Decision on 28.01.09: Call on 12.03.09.
	 
	Call on 22.04.2009

	11
	Complaint against 
(a) Oldy Goldy Copier
(b) Reconica at 7/31, Ansari Road, Dariya Ganj, Delhi.
	Reparing of Photocopy m/c
	With reference to a public complaint received from residence of Gali no. 7 an inspection was carried out by Engineer Trainee on 02.07.08. During inspection: 
(a) Oldy Goldy: engaged in trading and repairing of Photocopy m/c. Blower is used inside the premises.
(b) Reconica: engaged in trading and repairing of Photocopy m/c. Blower is used outside the premises (on the roadside).
	Decision on 28.01.09:
Ask both of these units to file the Bank Guarantee of Rs. 50,000 under Air Act valid for one year and submit an affidavit to confirm that they are not causing any air pollution to the public.  Call on 12.03.2009
	Letter issued to the unit on 10.02.09 and a reply received through an Advocate on behalf of  M/s Oldy Goldy which states that the said unit is engage in trading of photocopiers not in repairing activity. 
Reply awaited from M/s Reconica.
	Ask the unit namely Oldy Goldy Copier to file an affidavit stating that it has not done photocopier repairing activity. 
Also ask another unit namely Reconica to file affidavit indicating present activity. 
Call on 22.04.2009.

	12
	Executive Club 439, Village Sahurpur,New Delhi-110074.
	Farm House
	Inspection was carried out by Trainee Engineer on 03.07.08. As decided in CMC on 13.08.08, the file was put up admistratively and as approved,  letter was issued to the unit on 09.09.08 regarding  installation of STP, reuse of the treated water, apply for Consent to Establish, submit permission from Central Ground Water Authority for using the ground water and correct all the deficiencies. The unit submitted it's reply and requested for grant of three months time to do the needful. As decided in CMC on 30.09.08, letter was issued to the unit on 17.10.08 to file adequacy report , noise monitoring report of D.G set and CGWA clearance.The unit submitted its reply on 27.10.08 and informed that two D.G Sets have been disposed off, there is no working tubewell etc. Final reminder for full complaince issued on 17.11 .08.Reply received on 01.12.08 alongwith certificate of 82.5 KV D.G Set issued by Bhaskar Powr Projects Ltd.  However , nothing has been mentioned regarding adequacy report, noise monitoring report  and clearance from CGWA.Letter issued to the unit on 24.12.08.
	Decision on 14.01.09:
Call for personal hearing on 28.01.09 at 7.45 PM.
Decision on 28.01.09:
Unit came for personal hearing on 28.01.09 and it has file the following documents by 31.03.09. 
(1) Apply for CTE.
(2) Noise monitoring report of the DG Set.
(3) Confirmation of date of installation of STD.
(4) CGWA clearance for ground water drawl.
	Letter issued to the unit 10.02.09. Reply awaited.
	Issue final reminder for full compliance. Call on 22.04.2009

	13
	M/s R. K. Auto Industries, 641/1, RZ Block, Gali No. 4, Upper Anand Parbat, Delhi
	Mfg of auto parts (Light frame).
	An inspection was carried out by engineer trainees on 09.03.09 w.r.t. public complaints. During inspection, unit is engaged in mfg. of auto parts (light frame). Noise was observed.  
	 
	 
	Shift to Green Committee.

	14
	M/s Sunproof Electrometer, 641/3, RZ Block, Gali No. 4, Upper Anand Parbat, Delhi
	Mfg. of rubber products
	An inspection was carried out by engineer trainees on 09.03.09 w.r.t. public complaints. During inspection, unit is engaged in Mfg. of rubber products. Air pollution was observed.  
	 
	 
	 The following deficiencies were observed during the inspection: -
(i) unit is requied to install air pollution control devices. 
(ii) unit is required to provide acoustic enclosure and adequate stack height with the D.G. Set.
 Ask the unit to correct above deficiencies. Call on 22.04.2009.

	15
	M/s J.B.Motors (Honda Workshop), 1/1, Railway Site, Indl. Estate, New Rohtak Road, Anand Parbat Chowk.
	Workshop
	A copy of notice of consumer received from DJB and informed that the unit is discharge untreated liquid waste directly into the drain.
	 
	 
	Trainee, PGRC to inspect and report. Call on 22.04.2009

	16
	M/s Chaudhry Misthan Bhandar, 7328, Prem Nagar, G. T. Road, Shakti Nagar, Delhi-07.
	Sweet Shop
	A copy of notice of consumer received from DJB and informed that the unit is discharge untreated liquid waste directly into the drain.
	 
	 
	Trainee, PGRC to inspect and report. Call on 22.04.2009

	17
	M/s Behgal AutoMobiles, 3502, Raja Park, Rani Bagh, Delhi.
	Automobile Workshop
	A copy of notice of consumer received from DJB and informed that the unit is discharge untreated liquid waste directly into the drain.
	 
	 
	Trainee, PGRC to inspect and report. Call on 22.04.2009

	18
	Bharat Motors, (TVS Motor Co. ), A-272, G.T.Karnal Road, Swaroop Nagar, Delhi.
	Workshop
	A copy of notice of consumer received from DJB and informed that the unit is discharge untreated liquid waste directly into the drain.
	 
	 
	Trainee, PGRC to inspect and report. Call on 22.04.2009

	19
	M/s Junction "36", (Party Hall), Junction of Joshi Road and New Rohtak Road, Karol Bagh, New Delhi.
	Party Hall
	A copy of notice of consumer received from DJB and informed that the unit is discharge untreated liquid waste directly into the drain.
	 
	 
	Trainee, PGRC to inspect and report. Call on 22.04.2009


	Sl.No
	Name of the unit
	Activity
	Earlier Decision, if any
	ATR/Remarks
	Decision on 12.03.2009

	1
	Sushil Enterprises, B-8/4, Phase-I, Badli Industrial Area
	Mfg. of PVC / Plastic Products
	              13.08.2008
Ask the unit to apply for Consent to Establish and also examine the applciation in view of the recent High Court Order.  Call on 10.09.2008.
                10.09.2008
Reminder for Consent to Establish with direction to follow the order of High Court. Call on 07.10.2008
                     07.10.2008
Issue reminder. Call on 06.11.2008
                     06.11.2008
SIT to inspect and report. Call on 23.12.2008
                      23.12.2008
SIT to inspect and report. Call on 28.01.2009
                       28.01.2009
Unit has to install hood & channelization system over injection moulding machine, waste water should be channelized and discharged into sewer. Acoustic enclosure & proper stack height should be provided with the D.G. Set and unit should file CGWA clearance for borewell.  Call on 12.03.2009.
	Applied for CTO (R) on 13.04.2007 vide I.D. No. 21041.
Obtained CTO on 11.06.2003 valid upto 25.07.2005.
Letter issued.
Reply received.
	Call for personal hearing on 02.04.2009 at 7.15 PM.

	2
	M/s Electro Products (India), Plot NO 245, Pocket-M, Sector-5, DSIDC, Bawana Industrial Area, Delhi
	 
	                                  24.11.2008
SIT to inspect and report. Call on 17.12.2008
                          23.12.2008
SIT inspection found the following deficiencies:-
(i) No air pollution control device has been found in the extruder processing area.
(ii) Proper channelization and suction device should be installed over extruder machine. 
(iii) Acoustic enclosure needs to be provided with D.G. Set. 
(iv) 1 bore well found at site. No CGWA  information available at site.
Ask the unit to correct all these deficiencies. Call on 28.01.2009 
                            28.01.2009
Issue final reminder. Call on 12.03.2009.
	Letter issued.
Letter returned back undelievered.
	Letter be pasted. Call on 22.04.2009

	3
	Jyoti Electro Capacitors, F-71, Sector-2, DSIDC, Bawana Indl. Area
	Mfg of electrical and electronic capacitors
	_
	Unit has obtained CTE on 30.11.2004 (valid upto 28.10.2005)
Applied for CTO on 26.102.006 vide I.D. No. 19619.
Unit has submitted a reprsentation on 03.03.2009 and requesting to issue consent.
	Ask the unit to file all the documents required with the Consent to Operate application including stack height and pollution control equipments for D.G. Set. Call on 22.04.2009

	4
	Sainico Industries, J-18, Sector-1, DSIDC, Bawana Indl. Area
	Mfg. of electrical accessories (switches, soc plugs, celing rose, fan, regulator, lamp hoder, bells & buzzer)
	                         29.05.2008
Ask the unit to file permission from Central Ground Water Authority for ground water drawl.
	CTE obtained on 18.02.2003 vide consent order no. 3153 (valid upto 17.02.2004)
CTO obtained on 17.09.2004 vide consent no. 11236 (valid upto 22.06.2007)
Applied for CTO(R) on 12.06.2007 vide I.D. No. 27192.
	The unit must file an affidavit that it is getting water supply from DSIDC and has closed the borewell. Call on 22.04.2009

	5
	Guardian Cables & Conductors Pvt. Ltd., C-408-409, DSIDC, Narela Industrial Area
	Mfg. of electric (PVC / XLPE Wires & Cables)
	_
	Applied for CTO on 27.08.2007 vide I.D. No. 23296.
Unit has submitted a representation to Lt. Governor office regarding issuance of consent.
	Ask the unit to apply for Consent to Establish and proper report be sent by MS to office of Lt. Governor. Call on 22.04.2009

	6
	Gold Master Moulds, C-1, Udyog Ngar Indl. Area
	Aluminium mould for shoe's sole
	                                  24.11.2008
SIT to inspect and report. Call on 17.12.2008.
                           23.12.2008
Ask the unit to file an affidavit regarding correction of deficiencies noted by SIT during inspection. Call on 28.01.2009.
During inspection, SIT found the following units also operaing at the premises:- 
(i) M/s Gold Master Moulds (P) Ltd. (ii) M/s Ginni Polyer (iii) M/s Advance Auto
Ask these units to apply for Consent to Establsh. Call on 28.01.2009
                                30.12.2008
Both the Trainees of CMC-I will inspect the premises and confirm whether the affidavit is correct. Also ask the unit to apply for Consent to Operate. Call on 28.01.2009.
                               28.01.2009
Issue final reminder for Consent to Establish. Call on 12.03.2009
	The case has been discussed in CMC(Green) meeting held on 05.03.2009 and CMC has decided to grant CTE.
	Shift to Green Committee.

	7
	D.D. Motors (Divison of D.D. Industries Ltd.d), A-1, Udyog Nagar Industrial Area
	Show Room, Repair Workshop & Servicing of Automobiles (Cars)
	                           13.08.2008
 Issue notice for CGWA clearance and apply for authorization under HWM Rules. Call on 10.09.2008.
                            10.09.2008
Issue reminder for compliance of letter dated 27.08.2008 by 07.10.2008. Call on 07.10.2008
                            07.10.2008
Issue reminder. Call on 06.11.2008
                           06.11.2008
Ask the unit to file Bank Guarantee  of Rs. 50,000 each under Water Act & HWM Rules. If the unit does so by 17.12.2008, CTE will be granted.
                          18.12.2008
Issue fresh reminder. Call on 21.01.2009
                        30.12.2008
  Earlier Bank Guarantee of Rs. 50,000 submitted each under Water Act and HWM Rules valid for six months may be returned back to the unit and unit be asked to file Bank Guarantee of Rs. 50,000 each under Water Act and HWM Rules valid for one year. Call on 28.01.2009.
                         28.01.2009
Issue final reminder for extension of Bank Guarantee for one year. Call on 12.03.2009
	Unit has applied for CTE and authorization under HWM Rules.
As decided in CMC meeting, unit has submitted fresh Bank Guarantee.
	Ask the unit to file CGWA clearance. Call on 22.04.2009

	8
	M/s Super Plastic Industries, C-1, Udyog Nagar Industrial Area, Delhi
	Mfg. of PVC and EVA Footwears.
	                                  24.11.2008
SIT to inspect and report. Call on 17.12.2008.
                           23.12.2008
Ask the unit to file an affidavit regarding correction of deficiencies noted by SIT during inspection. Call on 28.01.2009.
During inspection, SIT found the following units also operaing at the premises:- 
(i) M/s Gold Master Moulds (P) Ltd. (ii) M/s Ginni Polyer (iii) M/s Advance Auto
Ask these units to apply for Consent to Establsh. Call on 28.01.2009
                                30.12.2008
Both the Trainees of CMC-I will inspect the premises and confirm whether the affidavit is correct. Also ask the unit to apply for Consent to Operate. Call on 28.01.2009.
                             28.01.2009
Ask the unit to file Consent to Operate application. Call on 12.03.2009
	Letter issued.
Unit has not applied for CTO.
	Issue final reminder. Call on 22.04.2009

	9
	7 Star Banquets, 20, Najafgarh Road Industrial Area, Delhi
	Banquet Hall
	                           28.08.2008
SIT to inspect and report. Call on 10.09.2008.
                           10.09.2008
Deficiencies found by SIT to be communicated to the unit for correction. Call for personal hearing on 07.10.2008 at 5.45 PM. 
                               07.10.2008
 The unit came for personal hearing today.  Let the unit  submit the adequacy report of ETP and compliance report of all the deficiencies noted during the SIT inspection. Case to come up on 06.11.2008.
                          06.11.2008
Ask the unit to file an afidavit along with photographs complying the deficiencies communicated on the basis of SIT inspection. Call on 23.12.2008
                             23.12.2008
Revoke closure order. Ask the unit to file Bank Guarantee of Rs. 50,000 each under three Acts, if it does so, Consent to Establish will be granted. Call on 28.01.2009.
                               28.01.2009
Issue final reminder for Bank Guarantee. Call on 12.03.2009
	As decided in CMC, closure direction has been revoked.
Unit has submitted Bank Guarantee of Rs. 50,000 each under three Acts.
	Issue Consent to Establish. Call on 22.04.2009

	10
	Vikas Machine Tools22/7, Gali no.12, Anand Parbat Indl. Area New Delhi-5
	Manufacturing of Industrial Knives
	                        18.06.2008 
No case decided by the CMC will go to ALO for vetting. Draft order will prepared and will either be approved by MS or by chairman. If crucial legal matter is involved, DPCC counsel be consulted. Notice for closure be issued without waiting for minutes and also ask unit to file BG. Call on 18.07.08.
                       13.08.08
Cases of PGRC are to be put up Administratively.
                        03.09.08: 
Call on 07.10.08.
                        07.10.2008
Transfer file to concerned CMC. Call on 06.11.2008 for decision.
                       06.11.2008
SIT to inspect and report. Call on 23.12.2008
                       23.12.2008
Call on 28.01.2009
                         28.01.2009
Call on 12.03.2009
	Unit has issued earlier directions of closure u/s 31(A) of Air Act on 18.07.2005.
Unit has applied for CTO on 10.05.2007 and for CTE on 16.06.2008
Unit has deposited BG of Rs. 1 Lakh on 04.07.2008.
SIT report to be discussed.
	Call on 22.04.2009

	11
	Haldi Ram Products Pvt. Ltd., A-19, Shivaji Marg, Najafgarh Road, New Delhi
	Sweets, snakcs & other eatable items
	                                 21.08.2008
The unit claims that he has already installed ETP and D. G. Sets have adequacy stack height and acoustic enclosure. Unit may be asked to submit noise monitoring report, adequacy report of ETP and CGWA clearance expeditiously. Call on 17.09.2008.
                                17.09.2008
Let the unit to file CGWA clearance. Call on 16.10.2008
                                 15.10.2008
Call on 06.11.2008
                                06.11.2008
Call on 03.12.2008
                               03.12.2008
The Committee deliberated on this issue and decided that Consent to Establish can be granted subject to the installation of Solar Water Heating System, Rain Water Harvesting structures and CGWA Clearance. 
The unit must also apply for Consent to Operate immediately. 
Call on 23.12.2008. 
                           23.12.2008
Call on 28.01.2009
                             28.01.2009
Call on 12.03.2009
	Letter issued on 22.12.08
Reply received stating RWH System installed and requesting for 2 months time to install solar water heating system, to submit  CGWA permission and to apply for CTO application.
	Call on 22.04.2009 for full compliance of CMC directions.

	12
	M/s Imperial Hotel, Janpath, Connaught Place, New Delhi-01
	Five Star Hotel
	                    17.11.2008
SIT to inspect and report. Call on 03.12.2008. 
                     03.12.2008
The following deficiencies were noted during the SIT inspection:
(a) Only 1 number of sludge drying bed existing at site indicating no stand by sludge drying bed provided at site. 
(b) 100 KLD sewage is being discharged directly into the sewer without any treatment and ETP has been provided only for 100 KLD trade effluent. Separate STP required to be installed.
(c) Waste oil needs to be managed as per the provisions of Hazardous Waste (Management & Handling) Rules such as installation of display board, provision of hazardous waste containers and HW record keeping. 
(d) At present, stack height of the D.G. Set of 1250 KVA only 2 meters above the roof top which is not adequate as per norms notified in Environment (Protection) Rules and needs to be raised.
(e) Solar water heating system to be provided.
(f) Defunct filter press exists at site which needs to be removed.
Unit to clarify the time by when the above deficiencies will be corrected. Inform the unit to follow the D.G. Set Rules w.r.t. the request received for permission to import new D.G. Set. Call on 23.12.2008.
                           23.12.2008
Call on 28.01.2009
                              28.01.2009
Call on 12.03.2009
	Letter issued on 22.12.08
Reply awaited. However MOEF has issued a letter to Asstt. Commissioner (Imports) Indian Container Divison, Tuglakabad, New Delhi with a copy to DPCC wherein it has informed that hotel has imported a D.G. Set of 2000 kVA without providing details if it is an old / new D.G. Set and whether it would comply with emission and noise norms notified under the EPA Rules, 1986 and should submit CTE / NOC from DPCC at the time of import.
	Issue final reminder to submit full compliance of CMC decisions. Call on 22.04.2009

	13
	Unlite Plastic Industries Pvt. Ltd. , 62, Najfgarh Road Industrial Area, Delhi
	Mfg .of Plastic Film
	                  28.08.2008
SIT to inspect and report.  Call on 17.09.2008.
                    17.09.2008
Ask the unit to apply for authorization under HWM Rules and raise the height of the D.G. Set . Unit may also be sent to copy of the High  Court order for compliance. Call on 16.10.2008.
                     15.10.2008
Issue reminder. Call on 24.11.2008
                      24.11.2008
SIT to inspect and report. Call on 17.12.2008
                       23.12.2008
Unit may be asked to remove rotogravure printing machine from the premises and file an affidavit in this regard. Call on 28.01.2009
                        28.01.2009
Issue final reminder. Call on 12.03.2009.
	Letter issued on 12.02.2009.
Unit has submitted affidavit regarding removal of rotogravure printing machine and has requested 15 days time for the same.
	Call on 22.04.2009

	14
	Daffodil  Hotel Tania farm Complex station village Chattarpur Block N-D.110030
	Restaurant & Banquet Hall
	                     10.09.08 
Information is incomplete. A reminder may be issued to the unit for remaining information particularly composting of bio-degradable waste. Call on 07.10.08. 
                     07.10.2008
Transfer file to concerned CMC. Call on 06.11.2008 for decision.
                     06.11.2008
Ask the unit to confirm compliance of installation of Solar Water Heating System. Call on 23.12.2008
                      23.12.2008
Call on 28.01.2009
                     28.01.2009
Call on 12.03.2009
	Letter issued to confirm compliance of installation of Solar Wter Heating System.
Reply received on 23.12.2008 stating that they have already order the Solar Water Heating system and it will take 2-3 weeks time to finish the installation work.
No recent reply has been received.
	Issue final reminder for full compliance of CMC decisions. Call on 22.04.2009

	15
	National Sports Club of India, Mathura Road, New Delhi
	Club Bar & Restaurant
	                        17.11.2008
SIT to inspect and report. Call on 23.12.2008
                       23.12.2008
SIT inspection found the following deficiencies:-
(i) No rainwater harvesting structure 
(ii) During inspection, aeration tank was not found operational. 
(iii) Cleaning is required in aeration tank and collection tank. 
(iv) Sludge should be removed regularly.  
(v) Stack height of the D.G. Set should be raised atleast upto 2.0 meter above the roof of the building where the D.G. Set is installed.
Ask the unit to correct all these deficiencies. Call on 28.01.2009 
                           28.01.2009
Ask the unit to do full compliance. Call on 12.03.2009
	Letter issued on 12.02.2009
Reply awaited.
	Issue final reminder for full compliance of CMC decisions. Call on 22.04.2009

	16
	Excel Motors, B-II, Mohan Cooperative Indl. Area, Delhi.
	Workshop
	Decision on 17.09.08: SIT to inspect and report. Call on 16.10.08.
                        15.10.2008
The deficiencies noted by SIT  be communicated to the unit for correction. File may be transferred to concerned Cell. Call on 24.11.2008.
                         24.11.2008
Final reminder to submit affidavit for correction of deficiencies noted by SIT during the inspection. Call on 17.12.2008
                         23.12.2008
Call on 28.01.2009
                         28.01.2009
Ask the unit to file affidvit and photographs for correction of deficiencies noted by SIT during the inspection. Call on 12.03.2009
	Letter issued to the unit to file affidvit and photographs for correction of deficiencies noted by SIT during the inspection. 
Reply awaited.
	Issue final reminder for full compliance of CMC decisions. Call on 22.04.2009

	17
	M/s Deutsche Motoren Pvt. Ltd., H-5/B-1, Mohan Co-operative Industrial Estate, Delhi-44
	Service, repair and maintenance of cars.
	                                  21.11.2008
The unit may be directed to indicate the date of start of operation and the reasons for filling the application for Consent to Operate after one year. Call on 24.11.2008.
                                  24.11.2008
SIT to inspect and report. Call on 17.12.2008
                               23.12.2008
SIT inspection found the following deficiencies:-
(i) ETP was not found operational during inspection.
(ii) No wet sludge observed 
(iii) Chemical dosing system with proper mixing device and water connection should be provided with ETP
(iv) Sludge should be managed as per provisions of HWM Rules
(v) Waste oil should be stored under covered area and on pucca floor with proper label and record 
(vi) D.G. Set stack height needs to be raised as per norms. 
Ask the unit to correct all these deficiencies. Call on 28.01.2009 
                               28.01.2009
Issue final reminder. Call on 12.03.2009.
	Letter issued to the unit for correction of SIT defeciencies.
Reply received with photographs.
	Ask the unit to file an affidavit for correction of all the deficiencies noted during the inspection by SIT. Unit be asked to file the latest adequacy report also. Call on 22.04.2009

	18
	Shobha Beri
B - 2548, Narela Indl Area,
Delhi - 40
	Recycling Dana
	                         28.01.2009
Issue reminder. Call on 12.03.2009
	As approved administratively, letter was issued to the unit to apply for CTE, authorisation under Plastic Rules and to submit affidavit for compliance of High Court order dated 7.8.08.
Unit has not submitted any reply.
Letter issued.
Reply not received.
	Issue final reminder for full compliance. Call on 22.04.2009

	19
	Shiva Dyeing
B - 2392, Narela Indl Area,
Delhi - 40
	Dyeing
	                         28.01.2009
Ask the landlord to file an affidavit. Call on 12.03.2009.
	As approved administratively, SCNs  were issued to the unit to apply for CTE and for correction of deficiencies observed by SIT.
Reply received from the landlord stating that the unit has left the premises and is lying vacant.
Letter issued.
Reply not received.
	Issue final reminder for full compliance. Call on 22.04.2009

	20
	M/s Qutab Hotel, Shaheed Jeet Singh Marg, New Delhi-16
	Hotel
	                     15.10.2008
The unit must file the ISO certification by 31.12.2008. SIT to inspect and report.  Call on 24.11.2008.
                    24.11.2008
SIT report indicates the following deficiencies :- (i) 4.8 KLD of sewage being released directly into the sewer (ii) No record of hazardous waste being maintained (iii) Borewell is being operated without CGWA clearance (iv) No rain water harvesting structure and solar water heating system installed (v) ETP of 75 KLD installed but treated water not being reused. 
Ask the unit to correct these deficiencies and file an affidavit by 17.12.2008. Call on 17.12.2008.
                       23.12.2008
Call on 28.01.2009 for interim report and personal hearing on 28.01.2009 at 5.00 PM.
                         28.01.2009
The unit came for personal hearing today. It pleaded for time for one year to install the equipments, as observed by SIT, and two years for installing Solar Water Heating system. The unit is drawing more than 70 KLD of ground water without CGWA clearance and is yet to install STP for the domestic sewage being released in the drain. Action for other compliances to be done, have also not been initiated. The unit is advised to comply with the SIT’s observation by 31.03.2009 so that the environment is not compromised. The unit should immediately take CGWA clearance and install Rain Water Harvesting system which is required for this purpose.  Call on 12.03.2009 for interim report. Issue the letter to the unit without waiting for the minutes. 
	Letter issued to the unit to comply with SIT observation by 31.03.2009 so that the environmeny is not compromised. Also, to take CGWA clearance and to install rain water harvesting
Reply awaited.
	Issue final reminder to file interim report on the directions by CMC. Call on 22.04.2009

	21
	Delhi International Airport Ltd
(Restructuring & Modernisation of IGI Airport)
	Airport
	                     28.01.2009
The unit came for personal hearing today. As per consent application, it is drawing 10,030 KLD of water from ground without CGWA clearance and 3000 KLD from DJB. In South district, drawl of ground water is prohibited and unit must take CGWA clearance immediately. It must also install Rain Water Harvesting system properly which will be required for CGWA clearance. The unit is treating 6750 KLD of waste water. The unit must use the treated waste water for its water requirements  such as cooling, horticulture, toilet flushing etc. so that fresh water is conserved and treated waste water get optimally utilized. The unit must also install Solar Water Heating system and ensure use of CFL, BEE labeled equipments to conserve the energy. The unit may correct all these deficiencies by 31.03.2009. The unit to file adequacy report also. The unit should also submit the water mass balance chart. Call on 12.03.2009 for interim report. Issue the letter to the unit without waiting for the minutes. 
                       25.02.2009
Call on 12.03.2009 along with other case of DIAl.
	Letter issued to the unit on 04.02.2009 to install wet scrubber.

Again, letter was issued on 05.02.2009 to install Rain Water Harvesting system, to submit CGWA clerance, to install Solar Water Heating system and to submit adequacy reprot and water mass balance chart.

Reply awaited.
	Issue final reminder through MS, DPCC to CEO, DIAL to comply CMC decision. Call on 22.04.2009

	22
	M/s Taj Sats Air Catering Ltd., IGI Airport Complex, New Delhi
	Flight catering service
	                                  24.11.2008
SIT to inspect and report. Call on 17.12.2008.
                           23.12.2008
Unit may be asked to manage the waste oil as per the HWM Rules. Call on 28.01.2009
It has come to the notice of CMC that this unit along with two others units namely M/s Oberoi Freight Kitchen and M/s Ambassador Freight Kitchen use approximately 1200 KLD of water and treat nearly 600 KLD of waste water without any reuse. This matter requires to be settled among senior officials of these three units and nearby DIAL officials which operates the airport. Sh. A.N. Singh, Scientiest, DOE to give names of four officers concerned for personal hearing on 28.01.2009 at 5.10 PM . Issue letter accordingly and confirm on file positively. 
                             28.01.2009
The unit came for personal hearing today. It is drawing 460 KLD of water from ground without CGWA clearance. In South district, drawl of ground water is prohibited and unit must take CGWA clearance immediately. It must also install Rain Water Harvesting system properly which will be required for CGWA clearance. The unit is treating 200 KLD of waste water.  The unit must use the treated waste water for the entire cooling requirement so that fresh water is conserved and treated waste water get optimally utilized. The unit must also install Solar Water Heating system and ensure use of CFL, BEE labeled equipments to conserve the energy. The unit may correct all these deficiencies by 31.03.2009. The unit should also submit the water mass balance chart. Call on 12.03.2009 for interim report. Issue the letter to the unit without waiting for the minutes. 
	Letter issued for the compliance of CMC decision dated 28.01.2009.
No reply received.
	Ask the unit to ensure full compliance of CMC decisions to be done by 22.04.2009 without fail. Call on 22.04.2009.

	23
	M/s Ambassador Sky Chef, IGI Airport Complex, New Delhi
	Flight catering service
	                             28.01.2009
The unit came for personal hearing today. It is drawing 120 KLD of water from ground without CGWA clearance. In South district, drawl of ground water is prohibited and unit must take CGWA clearance immediately. It must also install Rain Water Harvesting system properly which will be required for CGWA clearance. The unit is treating 75 KLD of waste water. The unit must use the treated waste water for the entire cooling requirement so that fresh water is conserved and treated waste water get optimally utilized. The unit must also install Solar Water Heating system and ensure use of CFL, BEE labeled equipments to conserve the energy. The unit may correct all these deficiencies by 31.03.2009. The unit to file adequacy report also. The unit should also submit the water mass balance chart. Call on 12.03.2009 for interim report. Issue the letter to the unit without waiting for the minutes. 
	Letter issued for the compliance of CMC decision dated 28.01.2009.
No reply received.
	Issue final reminder to comply with the directions of CMC. Call on 22.04.2009

	24
	M/s Oberoi Flight Services, IGI Airport Complex, New Delhi
	Air Lines meals
	                             28.01.2009
The unit came for personal hearing today. It is drawing 275 KLD of water from ground without CGWA clearance. In South district, drawl of ground water is prohibited and unit must take CGWA clearance immediately. It must also install Rain Water Harvesting system properly which will be required for CGWA clearance. The unit is treating 225 KLD of waste water. The unit must use the treated waste water for the entire cooling requirement so that fresh water is conserved and treated waste water get optimally utilized. The unit must also install Solar Water Heating system and ensure use of CFL, BEE labeled equipments to conserve the energy. The unit may correct all these deficiencies by 31.03.2009. The unit to file adequacy report also. The unit should also submit the water mass balance chart. Call on 12.03.2009 for interim report.  Issue the letter to the unit without waiting for the minutes. 
	Letter issued for the compliance of CMC decision dated 28.01.2009.
No reply received.
	Ask the unit to ensure full compliance of CMC decisions to be done by 22.04.2009 without fail. Call on 22.04.2009.

	25
	M/s Sky Gourmet, IGI Airport Complex, New Delhi
	Flight Kitchen
	                             28.01.2009
Due to the personal hearing of other air catering units, CMC took up the case of the unit. As per consent application, it is drawing 168 KLD of water from ground without CGWA clearance. In South district, drawl of ground water is prohibited and unit must take CGWA clearance immediately. It must also install Rain Water Harvesting system properly which will be required for CGWA clearance. The unit is treating 99 KLD of waste water. The unit must use the treated waste water for the entire cooling requirement so that fresh water is conserved and treated waste water get optimally utilized. The unit must also install Solar Water Heating system and ensure use of CFL, BEE labeled equipments to conserve the energy. The unit may correct all these deficiencies by 31.03.2009. The unit to file adequacy report also. The unit should also submit the water mass balance chart. Call on 12.03.2009 for interim report. Issue the letter to the unit without waiting for the minutes. 
	Letter issued for the compliance of CMC decision dated 28.01.2009.
No reply received.
	Issue final reminder to comply with the directions of CMC. Call on 22.04.2009

	26
	A representation received from Sr. Divisional Electrical Engineer (TRS), Electric Loco Shed (WCR), Tuglakabad, New Delhi-44
	Repair and maintenance of electric locomotive
	                                  24.11.2008
Ask the unit to apply for authorization under HWM Rules & also to file application for consent to operate and permission from CGWA. Also SIT to inspect and report. Call on 17.12.2008.
                               23.12.2008
Call for personal hearing on 28.01.2009 at 5.20 PM with all documens related to treatment of waste water and disposal of hazardous waste including that from the residential colony of the loco shed.
                                28.01.2009
The unit came for personal hearing today. It is drawing about 145 KLD of water from water tanker and ground without CGWA clearance. In South district, drawl of ground water is prohibited and unit must take CGWA clearance immediately. It must also install Rain Water Harvesting system which will be required for CGWA clearance. The unit is not treating the waste water.  The unit must install STP for domestic sewage and ETP for the trade effluent. The unit must reuse the treated waste water in loco motive washing, horticulture etc. after installation of STP/ETP so that fresh water is conserved and treated waste water get optimally utilized. The unit must also install Solar Water Heating system and ensure use of CFL, BEE labeled equipments to conserve the energy. The unit may correct all these deficiencies by 31.03.2009. The unit should also submit the water mass balance chart. The unit is generating 32.36 MT of waste oil per annum. The waste oil must be sold only to the registered recyclers of MOEF/CPCB and should apply to DPCC for authorization under HWM Rules after ensuring proper containment system and safe handling of the hazardous waste in the form of waste oil. The unit should provide the proper covered storage area for the waste scrap also. Call on 12.03.2009 for interim report. Issue the letter to the unit without waiting for the minutes. 
	Letter issued.
No reply received.
	Issue final reminder to comply with the directions of CMC. Call on 22.04.2009

	27
	Shri Ganesh Enterprises, X-15, PH-II, Okhla Indl. Area.
	 
	                 20.02.2009
SIT inspected and found the following deficiencies:-
(i) Furnace should be made insulated to avoid leakages from furnace as smoke was observed around furnace area.
(ii) Pucca flooring should be provided around the loading and unloading area.
(iii) Adequacy report should be obtained for the air pollution control devices installed. 
These may be communicated to the unit and through our advocate to Hon'ble High Court. The opinion of the advocate will also be taken for future course of action. Call on 12.03.2009.
One more unit namely M/s S.G. Alloys Pvt Ltd. was also found operating during the inspection adjacent to the above said industrial unit owned by the same person.  In this unit, mill scale was found stored in the premises openly which should be stored in pucca floor and covered area. Unit is also required to install acoustic enclosure with the D.G. Set.  Ask the unit to correct the aforesaid deficiencies. Call on 12.03.2009.
	Letter issued.
No reply received.
	Issue final reminder to comply with the directions of CMC. Call on 22.04.2009

	28
	Jagadish Prasad Triloki Nath & Co.
(Indra Cold Storage)
42, Rama Road, New Delhi - 15
	Cold storage 
	                              01.5.2008
SIT to inspect and report by 03.06.2008.
                              11.07.2008
Ask the unit to file an affidavit for correction of deficiencies observed during the inspection and submit a Bank Guarantee of Rupees One Lakh under Air Act. Call on 11.07.2008.
                              11.07.2008
Let the unit file Bank Guarantee. Call on 06.08.2008.
                            06.08.2008
Issue reminder. Call in CMC on 29.08.2008.
                            28.08.2008
His request for  waiving  of BG not accepted. Issue final reminder to submit BG. Call on 17.09.2008.
                              17.09.2008
Ask the unit to apply for Consent to Establish. Call on 16.10.2008
                               15.10.2008
Issue reminder for Consent to Establish. Call on 06.11.2008
                              06.11.2008
Issue renewal of consent.
	As per CMC decision dated 06.11.2008, CTO (R) issued on 20.11.2008 valid upto 19.01.2009.
Unit has again applied for CTO (R)  on 19.01.2009 vide I.D. No. 28711.
Unit has submitted a letter on 24.02.2009 requesting to issue consent.
	SIT-II to inspect and report. Call on 22.04.2009

	29
	Fablas Impex Pvt .Ltd., 70, Najafgarh Road Indl. Area 
	Mfg .of steel wire scrubber
	_
	Applied for CTO(R) on 10.12.2007 vide I.D. No. 24447.
Unit has obtained CTO on 03.09.2004 vide consent no. 11563 valid upto 07.06.2007
Unit has submitted a letter on 24.02.2009 requesting to issue consent.
	Ask the unit to apply for Consent to Establish. Call on 22.04.2009

	30
	Hindustan Service Station, Najafgarh Road, Village Ranholla, Delhi-63.
	 
	                                      14.11.07

If the unit files an affidavit that it will not take up any industrial activity in this residential premises and files Bank Guarantee of Rs. 3 lakhs then CMC may consider withdrawal of case from court .In view of the fact Plant & Machinery  has been removed, and premises is used as residence  as per recent inspection.   Case may be put up on 28.12.2007.
   
30.12.08
Issue final reminder. Concern CMC to put up on 28.1.2009

                      
	Letter sent, for filing  an affidavit and Bank Guarantee for Three lacs. Letter returned back undelivered. letter pasted, no response.
Reminder issued on 05.01.09.
Non Industrial Area. Unit has submitted a letter requesting to De-seal the unit for the removal of machinary and other belongings from the premises. 
Next date of hearing 17.12.09 for precharge evidence.
	Ask the unit to apply to appropriate place. Call on 22.04.2009

	31
	Raj Overseas
	Annealing , re-rolling and pickling of SS sheets and manufacturing of utensils ( including buffing)
	            21.10.2008
In case of Exim International, Consent to Establish may be refused by passing a speaking order in view of the proposed activity of pickling falling under negative list as per MPD-2021. 
Case of Raj Overseas will take up on 31.10.2008 with High Court order. 
            05.11.2008
File be put up with court order administatively.
In case of M/s Exim International, application for auhtorization under HWM Rules be refused and inform MCD accordingly.
             18.12.2008
Based on the deficiencies noted by SIT, notice for closure u/s 31(A) of the Air Act, 1981 and 33(A) of the Water Act, 1974 may be drafted and then issued after showing to MS, DPCC without waiting for minutes giving 15 days time. Call on 07.01.2009.
             07.01.2009
File be submitted administratively. 
	Unit approched Hon'ble High Court against CMC decision dated 03.09.2008
High Court has stayed forfeiture of BG vide its order dated 17.09.2008.
On 23.10.2008, the Court has directed DPCC to submit inspection report. 
SIT has inspected the premises on 11.11.2008 and the court on 11.12.2008 has asked DPCC to file the inspection report within a week. Legal Cell has already initiated the action to comply with the court order.
Next date of hearing is 13.02.2009. SIT report to be discussed for further decision.
As per decision on 18.12.2008 notice u/s 31 A & 33A were issued to the unit on 22.12.2008. Reply received.
File was processed administratively. Letter issued to the unit on 25.02.2009 for filing affidavit, photographs in support of their compliance.
Reply received along with an affidavit & photographs.
Case was listed on 13.02.2009. Counsel of petitioner requested for time to file rejoinder. On the request, case adjourned for 01.04.2008 for filing rejoinder by petitioner.
	The case is to be fought rigorously and if no senior lawyer has been appointed the newly appointed advocate Sh. Mahapatra be assigned this case. Call on 22.04.2009


	S. No
	Ref. No
	Name & Address
	EC Status 
	CTE status
	Bult Up Area
	Water / Waste Water details
	Total Project Cost
	Date of Commissioning
	Earlier Decisions
	ATR/REMARKS
	Decision on 12.03.2009

	1
	SA-3
	R.C.Sood & Co. Pvt.Ltd.Proposed Shopping Mall at 10, Shivaji Palace, District centre, Raja Garden, Delhi, 
	26-03-08
	11/09/06                27-02-07
	 
	 
	 
	 
	                               20.02.2009
The unit came for personal hearing today. The SIT inspection of 16.01.2009 which is 2nd inspection done in the same preemies shows the following deficiencies:-
(i) STP was not found operational during inspection.
(ii) No dry sludge and wet sludge observed in the premises.
(iii) No MLSS observed in aeration tank.
(iv) Effluent transfer pump found removed for repair. During inspection temporary pump was being used for effluent transfer.
(v) Proper garbage storage facilities of enclosed type should be developed with proper ventilation in the building.
(vi) One bore-well exists at site. No information regarding CGWA clearance.
(vii) No information regarding Sl. No 7 to 10 of Environmental Clearance’s conditions under construction phase. 
(viii) No information provide regarding stack monitoring report and measurement of stack height of D.G. Set.
(ix) No information regarding ambient noise level monitoring at boundary wall.  
(x) No information regarding installation of sedimentation tank and oil & grease trap in the rain water harvesting system. 
(xi) No information regarding Sl. No 10 to 12 of the Environmental Clearance’s conditions under operational phase. 
(xii) No solar panel found during inspection.
(xiii) Foul smell observed in the basement which was generated from solid waste collection area.
The unit has been found to be violating the air and water pollution control system during both the inspections. The above deficiencies are indication that the unit is violating air and water acts as well as EIA notification with impunity. The unit is given a final chance to file an affidavit on each of the above points for correction of the deficiencies failing which action as per the law will be taken. Call on 12.03.2009.
	Letter issued on 03.03.2009
Reply awaited.
	Call on 02.04.2009

	2
	SA-32
	Paradise Mall at Plot No 23, Shivaji Place, District Centre, Raja Garden New Delhi by M/s Gold Cause Consructions PVt. Ltd.
	Pending with MOEF and also with SEIAA.
	Applied on 24.11.2008
	Built up area : 41529.22 sqn
	MCD : 287 KLD / WW : 25 KLD
	Rs. 89.93 Crores
	2010
	                      23.12.2008
Ask the unit to apply for Environmental clearance. Call on 28.01.2009
                       28.01.2009
Call on 12.03.2009 for enviornmental clearance.
	Letter issued on 16.02.2009
Reply awaited.
	Issue final reminder for environmental clearance. Call on 22.04.2009

	3
	SB-8
	P.S.K. Distrcit Centre, Laxmi Nagar, Vikas Marg, Delhi, DSIDC Govt of NCT of Delhi
	NA
	15.01.2008
	644 sq m
	corporation and ground water, 
3  KLD (WW)
	70 lakhs
	Feb 08
	                       06.11.2008
MS to write to MD, DSIDC. Call on 23.12.2008
                        23.12.2008
6th reminder be issued through Chairman, DPCC to MD, DSIIDC with a copy to Chief Secretary. Call on 28.01.2009
                          28.01.2009
MS to talk to MD, DSIIDC and get the report. Call on 12.03.2009
	MS has talked to MD, DSIIDC, he assured that all the required documents will be submitted at the earliest.
No reply received.
	MS to talk to MD, DSIIDC to resolve it. Call on 22.04.2009

	4
	SB-18
	Galleria Property Management Services Pvt. Ltd at  DT City Center, Block A, Communtiy Center, Shalimar Bagh, Delhi
	EC obtained on 15.01.2007
	Applied for CTE and CTO
	34,895 sqm
	279.5 KLD from MCD and treated water
No domestic discharge.
	140.71 Crores
	January 2008
	                              30.12.2008
SIT to inspect and report. Call on 14.01.2009
                               14.01.2009
MS to consult advocate and get notice for closure issued if the SIT inspection report so warrants. File may be submitted administratively within a week.
                                 04.03.2009
Call on 12.03.2009
	SCN for closure issued on 20.2.09. Reply received on 09.03.2009
Unit has applied for CTO and authorisation under HMW rules on 04.03.2009. 
	Since the unit has filed a 24 pages reply, it must be examined properly, carefully and be put up administratively within a week.

	5
	SB-39
	Vishal Retail Ltd.,  FD-7 Pitampura, New Delhi
	_
	Applied
	 
	 
	 
	 
	                            07.10.2008
SIT to inspect and report. Call on 06.11.2008
                            06.11.2008
Ask the unit to file permission from CGWA for ground water drawl and to maintain general cleanliness of the area. Call on 23.12.2008
                               23.12.2008
Issue final reminder. Call on 28.01.2009
                                 28.01.2009
Ask the unit to submit an affidavit . Call on 12.03.2009.
	Letter issued.
Unit has submitted an affidavit on 19.02.2009 stating that we have stopped to use ground water & bore well connection has been disconnected.
Now , we are using water tanker supply for drinking purpose.
	Issue Consent to Establish. Call on 22.04.2009

	6
	SB-52
	PVR Prashant Vihar, New Delhi
	Not submitted
	Not submitted
	_
	_
	_
	_
	                                             31.07.2008
 The unit came for personal hearing today.  It runs 8 cinema halls in Delhi and the situation is as follows:
(a) In 3 cinema halls, the unit draws ground water, therefore it requires permission from CGWA.
(b) In 3 cinema halls, the waste water discharge is more than 10 KLD, unit must file the details of trade effluent and domestic sewage separately out of this total waste discharges of 10 KLD. This information must be filed by way of affidavit.
(c) The unit has D.G. Sets in 5 out of the 8 cinema halls for which stack height from roof has not been indicated. This may be provided.
(d) Two D.G. Sets do not have the acoustic enclosures, which are mandatory to be installed. 
 Since both air & water pollution possibility exists from the D.G. Sets and waste water generation, unit must file separate Consent to Establish applications for all the 8 cinema halls. Call on 03.09.2008 for compliance of the above. 
                                03.09.2008
Reminder to comply with directions of CMC dated 31.07.2008 by 30.09.2008. Call on 30.09.2008.
                             07.10.2008
Issue reminder. Call on 06.11.2008
                            06.11.2008
Issue final reminder. Call on 23.12.2008
                            23.12.2008
Call on 28.01.2009
                             28.01.2009
Issue final reminder. Call on 12.03.2009
	Reminder issued.
Reply awaited.
	Call for personal hearing on 22.04.2009 at 5.15 PM.

	7
	SC-1
	Select City Walk (Shopping Mall) at Plot No. A-3 & P-1B, District Center, Saket, Delhi by Galleria Properties Management Services Pvt Ltd
	14.02.07
	29.04.05
	24174.66 sq. mtr.
	MCD-697000 lit/day   GW-NIL   DIS-300000 lit/day
	350 crore
	feb.2005.
	                          28.5.08
Brief CMC in the last week of July meeting of CMC. 
                                  31.07.2008
Call on 03.09.2008. Meanwhile affidavit to be filed ,be put up administratively latest by 04.08.2008.
                           03.09.2008
Call on 07.10.2008
                           07.10.2008
Call on 06.11.2008 with High Court order.
                           06.11.2008
Call on 23.12.2008
                           23.12.2008
Call on 28.01.2009
                           28.01.2009
Call on 12.03.2009.
	(a) The order of High Court is obtained. The order shows that criminal write was adjourned without any relief to the petitioner (accused I prosecution proceedings).
(b) The prosecution case was listed for 11.12.2008 and adjourned for 17.07.2009.
(c) Further a letter from regional office, MOEF has been received which shows that the unit has complied most of the vital environmental safeguards. DPCC is requested to decide the consent application.
	This case may be shifted to advocate Sh. Vidheya  to contest strongly in the High Court. MS may study file and brief the advocate personally, if necessary file may be submitted administratively. Call on 22.04.2009

	8
	SC-14
	DLF Universal Ltd.  Construction of Commercial Complex name DLF Court Yard at  Plot No. A4 & P-1A,  Saket Place, New Delhi-17
	15-01-07
	Applied for consent to Establish on 25-09-07
	 
	 
	 
	 
	                              16.02.2009
MS to take the opinion of the advocate and submit the file on 20.03.2009. Call on 20.03.2009.
                               20.02.2009
Call on 04.03.2009 with the expeditious opinion of Legal Cell.
                                  04.03.2009
SIT-I & SIT-II both to inspect immediately and submit report on 12.03.2009. Depending on the criticality of the conditions, the file may either be submitted administratively or call on 12.03.2009
	SIT report to be discussed.
	The SIT- I & SIT-II inspection report may be carefully studied and case be submitted administratively covering all the points within a week without waiting for the minutes.

	9
	SC-42
	Amazon Enterprises, Plot No 1, Community Centre, Alaknanda, New Delhi
	Pending with MOEF
	Not applied
	 
	 
	 
	 
	                06.11.2008
Ask the unit to apply for Consent to Establish. Call on 23.12.2008
                    23.12.2008
Issue reminder for Consent to Establish and retrieve file of environmental clearance from MOEF. Call on 28.01.2009
                       28.01.2009
List it for Enviornmental Clearance hearing before SEIAA. Call on 12.03.2009
	Reminder issued on 07.01.2009 to apply for CTE.
Reply awaited.
	Issue final reminder. Call on 22.04.2009

	10
	SC-43
	Construcion of Commercial Complex cum-multi level parking at plot no 13, Jasola, New Delhi 
	Pending with MOEF
	Not applied
	 
	 
	 
	 
	                      06.11.2008
Ask the unit to apply for Consent to Establish. Call on 23.12.2008
                     23.12.2008
Issue reminder for Consent to Establish and retrieve file of environmental clearance from MOEF. Call on 28.01.2009
                        28.01.2009
List it for Enviornmental Clearance hearing before SEIAA. Call on 12.03.2009
	Reminder issued on 07.01.2009 to apply for CTE.
Reply awaited.
	Issue final reminder. Call on 22.04.2009

	11
	SC-46
	PVR Priya, New Delhi
	Not Applicable
	Applied on 21.11.2008
	2142 sqm,
	MCD: 15 KLD, GW: Nil, Dis: 12 KLD.
	6.93 crores
	Jan. 2000
	                           06.11.2008
SIT to inspect and report. Call on 23.12.2008
                             23.12.2008
Ask the unit to correct the deficiencies noted by SIT during inspection. Call on 28.01.2009.
                            28.01.2009
Ask the unit for full compliance of SIT deficiencies. Call on 12.03.2009
	Letter issued to the unit for full complianc eof SIT defeciencies.
No reply received.
	Issue final reminder. Call on 22.04.2009

	12
	SC-45
	PVR Saket Select City, New Delhi
	Not submitted
	Not submitted
	_
	_
	_
	_
	                                 07.10.2008
Ask the unit to install ETP.  PVR Anupam may also be directed to install ETP. Call on 06.11.2008.
                                06.11.2008
SIT to inspect and report. Call on 23.12.2008
                               23.12.2008
SIT to inspect and report. Ask the unit to file Consent to Establish immediately. Call on 28.01.2009
                               28.01.2009
Ask the unit to file documentary proof substantiating that the maintenance service are being provided by the Select City Mall. Call on 12.03.2009
	Letter issued to the unit to file documentary proof substantiating that the maintenance service are being provided by the Select City Mall.
Reply received wherein unit has requested to send letter directly to Mall Management.
	Unit be directed to file all relevant documents to prove its claim that the mall is maintaining the premises, failing which, action will be taken as per law. Call on 22.04.2009.


	S. No
	Ref. No
	Name & Address
	EC Status 
	CTE status
	Bult Up Area
	Water / Waste Water details
	Total Project Cost
	Date of Commissioning
	Earlier decisions
	ATR/Remarks 
	Decision on 12.03.2009

	1
	A-12
	 Tirupati Infraprojects Private Limited, 
 "Indus Hotel & Spa" 
Plot No. - D, Paschim Vihar Dist Centre,
 New Delhi
	04.06.2008
	24-04-08
	__
	__
	__
	__
	                            28.01.2009
The unit came for personal hearing today. It sought refund of the environment damages and Bank Guarantee. The Committee deliberated on the issue and decided against it because the units which have been granted exemption from environmental damages and Bank Guarantee on account of Commonwealth Games urgency have been imposed very stringent conditions of environmental protection which will involve a much larger investment. Call on 12.03.2009.
	Letter issued on 03.03.2009 regarding decision of CMC dated 28.01.2009.
	No action.

	2
	A-14
	Hotel Leelaventure Limited
Africa Avenue, Chanakya Puri, New Delhi
	13.06.2008
	3/6/2008
	39,194.98 Sqm 
	MCD - 125 KLD / GW - 80 KLD / 218 KLD
	306 crores 
	Mar-10
	                              02.02.2009
The unit came for personal hearing today. It requested time to seek order from its management on the latest letter issued by DPCC asking it to comply with CMC decision. Call on 20.02.2009 with reply to the letter received from LG’s office.
                               20.02.2009
Decision will be communicated on the file after study of the file.
	  In response to our  D.O  letter dated 25.02.09 issued by chairman dpcc, Pr. Secretary to LG has replied . 
	In view of Lt. Governor’s directions, Consent to Establish may be granted. However unit may be clearly directed to ensure that no cause for action on account of air/noise/water pollution should occur in the premises, failing which the environmental damages and Bank Guarantee will be re-imposed for compromising with the environment. Such a view should not be misconstrued and unit must be more vigilant to ensure that all environmental protection measures are taken in the present and future. Further, conditions imposed for similarly exempted 20 hotels cases may also be imposed in this case. Call on 22.04.2009

	3
	A-31
	Park Square (formerly Green Actres), Manohar Lal Kurana Marg, Kishan Ganj, New Delhi by DCM Limited
	Pending with SEIAA.
	Applied on 10.12.2008
	Built up area : 1,84,173.53 sqm
	MCD : 665 KLD / WW : Nil
	Rs. 173 Crores
	29.12.2008
	                              30.12.2008
Waste water details may be correctly submitted and contradictory figures in the Consent to Establish application in this regard must be properly reconciled supported by an affidavit. Call on 28.01.2009 with environmental clearance. 
                             28.01.2009
Ask the unit to file environmental clearance. Call on 12.03.2009  
	Letter issued on 13.02.09.
Unit submitted a letter stating that application for EC is under active consideration of SEAC.
	Issue reminder for enviornmental clearance. Call on 22.04.2009

	4
	A-32
	Sports Facilities Block at Shivaji Stadium, New Delhi constructed by M/s Simplex Project Ltd. 88, Skipper Corner, 4th Floor, Nehru Place, New Delhi
	Not applied
	Not applied
	34,000 Sqm
	6.4 KLD
	160 Crores
	Nov 2009, (Proposed)
	                          23.12.2008
Ask the unit to file environmental clearance application and Consent to Establish application immediately. Call on 28.01.2009.
                          28.01.2009
Issue final reminder. Call on 12.03.2009
	Letter  issued on 03.03.09.
Reply awaited.
	Call for personal hearing on 22.04.2009 at 5.30 PM.

	5
	A-34
	Murti Hospitality Pvt. Ltd.
85/15/2, 86/11/02, 86/12/2, 86/19, 86/20, 86/1, 86/10, 86/11/1, 86/12/1, & 78/21, Village Ghewra, HiraKundana More, NC-W.
	Built up area 2,946.24 Sqm
	Applied on 24.02.09
	2,946.24 Sqm
	5 KLD
	8 crores
	sept 2009, (Proposed)
	 
	Unit has applied for CTE on 24.02.09 for the activity of hotels/motels (3 star) for 40 rooms.
	SIT-II to inspect and report. Call on 22.04.2009

	6
	B-3
	Negolice India Ltd. Construction of Residential Complex named "Victoria Gardens" at Ring Road, Azadpur, New Delhi
	16-05-07
	 23-05-07
	1,00,676.12 Sqm 
	 MCD 517 KLD / 413 KLD (STP)
	106.70 crores 
	2007
	                  11.12.2008
The unit came for personal hearing today. It seeks a lenient view in view of the fact that it has applied for Consent to Establish in 2007. SIT inspection shows excavation has been done and dust pollution has been created, no CGWA permission is taken and D.G. Sets operating without acoustic enclosure and without adequate stack height. The unit admits its mistake and Committee decided to impose environmental damages of 0.05 % of the project cost equivalent to Rs. 5 Lakhs and Bank Guarantee of Rs. 5 Lakhs valid for three years. If the unit submits the same, Consent to Establish may be issued across the table. The unit seeks one week time. Call on 23.12.2008.
                       30.12.2008
Time allowed till 28.01.2009 for compliance of CMC’s decision, failing which action as per law will be taken.  Call on 28.01.2009.
                          28.01.2009
Call on 12.03.2009
	Environmental damages and Bank Guarantee not submitted, but submitted a reply on 12.02.2009 requesting to reconsider this case and waive the ED & BG imposed over them.
	Call for personal hearing on 22.04.2009 at 5.45 PM.

	7
	B-7
	Parsvnath landmark developers Pvt. Ltd (La Tropicana) at Magazine Road, Khber Pass, Civil Line, New Delhi
	2/7/2007
	22-05-06
	22717.18 Sqm
	MCD 465 KLD  / 261KLD(STP)
	476.69 Crores
	2009
	                         17.11.2008
The unit came for personal hearing today. It seeks leniency on account of depressed financial conditions. It is  in no position to explain why the built up  area was got reported as 22,717.18 sqm in the Consent to Establish application while the actual built up area as per SIT report is more than 1,13,000 sqm. MS may write to the CMD of the organization to bring this stark misrepresentation of the facts to his notice so that such a thing is not repeated. The total project cost of the unit is Rs. 476 Crores approximately as per the affidavit filed by the unit. For starting extensive excavation without taking Consent to Establish, causing widespread dust pollution in the entire area, the unit is directed to file environmental damages of 0.05 % of the project cost i.e. Rs. 24 Lakhs and Bank Guarantee of 0.05 % of the project cost i.e. Rs. 24 Lakhs within one month. To be complied with by 17.12.2008. Call on 17.12.2008 for further action. 
                             30.12.2008
Time allowed till 28.01.2009 for compliance of CMC’s decision, failing which action as per law will be taken.  Call on 28.01.2009.
                           28.01.2009
Call on 12.03.2009
	Environmental damages and Bank Guarantee not submitted but submitted a reply on 28.01.2009 requesting for extension of time for submission of ED & BG.
	Time allowed. Call on 02.04.2009.

	8
	C-23
	IFFCO Sadan , C-1, District Centre Saket, Saket, New Delhi
	Not applicable
	Applied on 18.06.2008
	17972 sqm.
	WW - 5 KLD (only domestic)
	86.455 crores
	March/ April, 2006
	                  18.12.2008
The unit came for personal hearing today. Unit is discharging 36 KLD of waste water without any STP and has not provided any Rain Water Harvesting System. The unit is directed to set up STP with full recycling provisions so that the entire waste water is reused in horticulture, air conditioning, and toilet flushing. The monthly progress report be submitted and the work be completed by 31.03.2009, failing which, action as per law will be taken. Call on 21.01.2009 for the first progress report. 
                     21.01.2009
Ask the unit to install STP of the required capacity. Call on 12.03.2009
	Letter issued to the unit to install STP of the required capacity.
Reply received stating that the work for installation of STP is in progress.
	Issue final reminder. Call on 22.04.2009

	9
	C-28
	M/s Kenneth Builders & Developers Pvt. Ltd., Maa Anandmayi MARG, Tehkhand, Delhi
	Obtained on 15.07.08
	Applied on 30.05.08
	100730 Metre square for EWS+165000 metre square for free sales unit
	MCD-2965KLD, GW-Nil, Waste waster discharge- 2668.5KLD
	Rs. 730 Crores
	November, 2010
	                          24.11.2008
Wait for ridge demarcation report to be filed by Forest Department. Call on 07.01.2009
                         07.01.2009
Call on 18.02.2009 with ridge demarkation report.
                        16.02.2009
Call on 20.03.2009 along with the report of Conservator of Forest. 
                       25.02.2009
Call on 02.04.2009
	Letter issued to DSF on 19.02.2009 regarding Ridge Demarcation Report. 
Reply received.
	MS to talk to DCF (South) to get the demarcation report. Call on 22.04.2009

	10
	C-62
	Construction of 136/160 HIG Houses, Sector-B, Pocket-2, Vasant Kunj, Delhi
	Not applicable
	Not Applied
	14400 sqm.
	MCD: 105 KLD, Dis.: 0.36 ton/day
	12 crores
	Not Available
	 
	Letter received from MOEF stating that the built up area of this project is less than 20000 sqm and does not require EIA clearance.
	Ask the unit to apply for Consent to Establish. Call on 22.04.2009

	11
	C-63
	Construction of 112 HIG Houses, Sector-D, Pocket-4, Vasant Kunj, Delhi
	Not applicable
	Not Applied
	16096 sqm
	Not Available
	20 crores
	Not Available
	 
	Letter received from MOEF stating that the built up area of this project is less than 20000 sqm and does not require EIA clearance.
	Ask the unit to apply for Consent to Establish. Call on 22.04.2009

	12
	B-31
	Construction of Hotel at Community Center Vivek Vihar Perfect Learning Pvt.Ltd. A-12, Swasthya Vihar, Vikas Marg, Delhi-92
	Built up area : 14822.71 sqm
	Applied on 14.01.2009
	Built up area : 14822.71 sqm
	MCD : 91 KLD / WW : 43 KLD 
	Rs. 26.53 Crores
	25.01.2009
	                        11.12.2008
The unit did not come for personal hearing today. Decision of the Committee will be communicated to the unit in due course. Call on 14.01.2009.
                           30.12.2008
Treat this in the same category of remaining cases of 33 hotel sites, where Consent to Establish has not been applied and write to Vice Chairman, DDA for cancellation of the plot. EE/AEEs of CMC should not exercise their discretion over & above the CMC decisions. 
                           14.01.2009
Call on 04.03.2009
                            21.01.2009
Call on 25.02.2009
                             25.02.2009
Call on 02.04.2009.
	As decided by CMC(Orange) on 13.02.2009, main file dealing with issue of 33 hotel projects CWG was processed administratively. 
Chief Secretary has desired inspections of all the five units for further decision. Accordingly, files were sent to SIT-II for inspection.
	Call on 16.03.2009

	13
	B-24
	Construction of Hotel at A-1, Community Centre, Pitampura, Delhi by M/s Sita Kiran Inn Pvt. Ltd., 88-C, Civil Lines, Bareily (UP)
	Built up area : 8561.02
	Applied on 04.02.2009
	Built up area : 8561.02
	GW : 3,36,000 KLD / WW : 50,000 KLD
	Rs. 80 Crores
	March, 2010
	                         11.12.2008
The unit came for personal hearing and has not applied for Consent to Establish. The Committee strongly feels that in such cases DDA should be asked to cancel their allotment since the unit has not shown seriousness in the matter. MS to write to Vice Chairman, DDA accordingly. Call on 14.01.2009.
                                14.01.2009
Call on 04.03.2009
	As decided by CMC(Orange) on 13.02.2009, main file dealing with issue of 33 hotel projects CWG was processed administratively. 
Chief Secretary has desired inspections of all the five units for further decision. Accordingly, files were sent to SIT-II for inspection.
	Call on 16.03.2009

	14
	B-29
	Construction of Hotel at 4B-Mayur Vihar ,Antarctica Properties Co. Ltd., SV-12-13, Bhakaji Cama Place, New Delhi
	Built up area 19153.315 sqm
	Applied on 29.12.2008
	Built up Area 19153.315 sqm
	53.245 KLD / 53.245 KLD (domestic effluent) / Quantities of treated water recycled/reused :  53.245 KLD
	Rs. 190 Crores (as per affidavit) / Rs. 79.97 Crores (as per application formm)
	15.10.2008
	                         05.11.2008
Call for personal hearing on 10.12.2008 at 7.20 PM.
                        11.12.2008
The unit did not come for personal hearing and has not applied for Consent to Establish. The Committee strongly feels that in such cases DDA should be asked to cancel their allotment since the unit has not shown seriousness in the matter. MS to write to Vice Chairman, DDA accordingly. Call on 14.01.2009.
                          14.01.2009
Call on 04.03.2009
	As decided by CMC(Orange) on 13.02.2009, main file dealing with issue of 33 hotel projects CWG was processed administratively. 
Chief Secretary has desired inspections of all the five units for further decision. Accordingly, files were sent to SIT-II for inspection.
	Call on 16.03.2009

	15
	B-32
	Construction of Hotel at Community Center Anand Vihar Best View Properties Ltd. C/o Eldeco Infrastructure & Properties Ltd. SV-12-13, Bhikaji Cama Place, New Delhi
	Built up area : 9863.12 sqm
	Applied on 02.02.2009
	Built up area : 9863.12 sqm
	DJB : 3200 Lt/day / GW : 18400 Lt/day / Domestic : 1520 Lt/day / Trade effluent : 4320 Lt/day
	Rs. 102 Crores
	March, 2010
	                      11.12.2008
The unit came for personal hearing and has not applied for Consent to Establish. The Committee strongly feels that in such cases DDA should be asked to cancel their allotment since the unit has not shown seriousness in the matter. MS to write to Vice Chairman, DDA accordingly. Call on 14.01.2009.
                          14.01.2009
Call on 04.03.2009
	As decided by CMC(Orange) on 13.02.2009, main file dealing with issue of 33 hotel projects CWG was processed administratively. 
Chief Secretary has desired inspections of all the five units for further decision. Accordingly, files were sent to SIT-II for inspection.
	Call on 16.03.2009

	16
	B-33
	Construction of Hotel at  6A-Community Center  Mandavali Fazalpur Spirit Hotels & Resorts Pvt. Ltd., 59, Pkt-2, Jasola, New Delhi
	Built up area : 8469.6 sqm
	Applied on 22.12.2008
	Built up area : 8469.6 sqm
	MCD : 30 KLD / 24 KLD (domestic effluent) / Quantity of treated effluent reused / recycled : 19 KLD
	Rs. 42.58 Crores.
	Jan., 2010
	                      11.12.2008
The unit came for personal hearing and has not applied for Consent to Establish. The Committee strongly feels that in such cases DDA should be asked to cancel their allotment since the unit has not shown seriousness in the matter. MS to write to Vice Chairman, DDA accordingly. Call on 14.01.2009.
                         18.12.2008
On the date of the decision in CMC i.e. 03.12.2008, only 19 cases had applied for Consent to Establish and they were given benefit as per State Govt. order. 
                            14.01.2009
Call on 04.03.2009
	As decided by CMC(Orange) on 13.02.2009, main file dealing with issue of 33 hotel projects CWG was processed administratively. 
Chief Secretary has desired inspections of all the five units for further decision. Accordingly, files were sent to SIT-II for inspection.
	Call on 16.03.2009


	S. No.
	Name of Industry 
	Address
	Activity
	Earlier decisions
	ATR for 12.03.2009
	Decision on 12.03.2009

	1
	M/s  New O.K. Electroplating,
	K-31/S-1, Anand Parbat Industrial Area Delhi
	Zn Plating (with Cr. passivation)
	                 30.01.2008
Seek the compliance report from BSES.
                   19.09.2008
Issue reminder for compliance report. Call on 20.10.2008
                    05.11.2008
Issue final reminder to NDPL. Call on 10.12.2008
                    11.12.2008
Issue fresh reminder. Call on 21.01.2009
                      21.01.2009
No action.
	No action.
	No action.

	2
	M/s Alipur Pipe & Steel Tubing Industries (P) Ltd.,
	M- 6, Phase I, Badli Industrial Area, Delhi – 42.
	Manufacturing of Copper sheets involving pickling.
	                     05.11.2008
SIT report indicates ETP found in defunct condition and ECS without hood found at site and unit was also not functional during inspection. Ask the unit to correct the deficiencies and submit an affidavit. Call on 10.12.2008
                       11.12.2008
Call on 21.01.2009
                           21.01.2009
The unit when starts operation, it will take prior permission from DPCC. Call on 04.03.2009
	Letter issued.
Reply received.
	SIT-II to inspect and report. Ask the unit to file CGWA clearance. Call on 22.04.2009

	3
	M/s  Rakhi Export,
	S- 76, Phase I, Badli Industrial Area, Delhi – 42.
	Fabrication of M.S. engineering goods (involving cutting, shearing and welding)
	                   19.09.2008
SIT to inspect and report. Call on 20.10.2008.
                   05.11.2008
During inspection by SIT, domestic waste water was being discharged into the drain and needs to be connected with the existing conveyance system. Call on 10.12.2008
                   11.12.2008
Ask the unit to file affidavit stating the compliance of earlier CMC decision dated 05.11.2008. Call on 21.01.2009
                     21.01.2009
Call on 04.03.2009
	Letter issued.
Reply received on 12.1.09 along with an affidavit stating that the domestic waste water is being discharged into conveyance system of CETP.
	Ask the unit to file CGWA clearance. Call on 22.04.2009

	4
	M/s  C.V. Mathur & M. K. Unithan/ Swastic Aluminum,
	Plot No. 103, Phase II, Badli Industrial Area, Delhi – 42.
	Manufacturing of aluminum sheets and circles.
	                      19.09.2008
Let the unit file 2nd Bank Guarantee valid for one year. Call on 20.10.2008.
                   05.11.2008
SIT to inspect and report. Call on 10.12.2008
                      11.12.2008
Ask the unit to file adequacy report of ECS. Call on 21.01.2008
                          21.01.2009
Call on 04.03.2009
	Letter issued.
Reply along with adequacy report received.
	Ask the unit to file CGWA clearance. Call on 22.04.2009

	5
	M/s Maruti Industries,
	Plot No. 83, Phase II, Badli Industrial Area, Delhi – 42.
	Pickling of SS sheets
	                       19.09.2008
The plea of the unit cannot be accepted. Let him file fresh Bank Guarantee of Rs. One Lakh valid upto 06.02.2010 and confirm by 20.10.2008. Call on 20.10.2008.
                       05.11.2008
SIT to inspect and report. Call on 10.12.2008
                        11.12.2008
Ask the unit to correct the deficiencies noted by SIT. Call on 21.01.2009
                          21.01.2009
Call on 04.03.2009
	Letter issued.
Reply awaited.
	Ask the unit to file CGWA clearance. Call on 22.04.2009

	6
	M/s Powercon Industries,
	Plot No. 45, Phase II, Badli Industrial Area, Delhi – 42.
	Annealing, re-rolling and pickling of SS sheets.
	                  30.01.2008
Based on the videography CD seen by Prof. Gupta, the unit appears to be big but having sloppy operations. Since the unit is highly polluting it can not run on sloppy lines and create adverse public interest. The unit may be asked to file Bank Guarantee of Rupees One Lakh under three acts valid upto 06.02.2010. It must also be directed to have efficient ETP, ECS & HWM systems. Let the unit file an affidavit to this effect along with the Bank Guarantee. 
                       19.09.2008
The plea of the unit cannot be accepted. Let him file fresh Bank Guarantee of Rs. One Lakh valid upto 06.02.2010 and confirm by 20.10.2008. Call on 20.10.2008.
                     05.11.2008
SIT to inspect and report. Call on 10.12.2008
                     11.12.2008
Unit may be asked to shift oil tank inside the premises. Call on 21.01.2009
                       21.01.2009
Ask the unit to file affidavit stating that the oil tank has been shifted inside the premises. Call on 04.03.2009
	Letter issued.
Reply awaited.
	Issue final reminder for filling the Bank Guarantee and also to submit the action plan for closing down the activity before Feb, 2010.  Also ask the unit to file CGWA clearance. Call on 22.04.2009

	7
	M/s Jwell Electroplating,
	K-31-5, Anand Parbat Industrial Area Delhi
	Ni Plating (with Cr. dip) with buffing (1 machine)
	                  27.09.2007
Inspection report indicates that unit has stopped the activity machinery of electroplating and buffing found removed and premises is empty. Therefore no action pending with this orange CMC. 
                  24.10.2007
No action pending. 
                   20.11.2007
No action pending
                    30.01.2008
No action by this Committee.
                     19.09.2008
No action.
                    05.11.2008
No action.
                     11.12.2008
No action.
                        21.01.2009
No action.
	No action.
	No action.

	8
	M/s Asrani Steel Industries, 
	A-4, Wazirpur Industrial Area  
	Pickling, Annealing, Re-rolling, Circle Cutting  
	                    19.09.2008
SIT to inspect and report. Call on 20.10.2008.
                  05.11.2008
Unit may be asked to remove equipments related to rerolling activity and annealing furance. Call on 10.12.2008
                     11.12.2008
Call on 21.01.2009
                      21.01.2009
Call on 04.03.2009
	Letter isssued.
Reply received on 1.12.08 stating that the machinery have been disconnected and will be sold as and when some buyer comes.
	Call on 22.04.2009

	9
	M/s Manish Industries, 
	A-83, Wazirpur Industrial Area
	Pickling, cold rolling, Circle Cutting  
	                    05.11.2008
The following deficiencies were noted by SIT be communicated to the unit for correction:
(i) Leakage observed in pipe fitting of reaction tank's hoppers of ETP. 
(ii) Stirrer of reaction tank needs to be repaired as same is not functioning properly.
(iii) pH of treated water chamber connected with sewer line was found to be 4.0. 

Also forfeit the Bank Guarantee under Water Act immediately.
Call on 10.12.2008
                         11.12.2008
Compliance to be done by Account Officer within 15 days. Call on 21.01.2009
                        21.01.2009
Call on 04.03.2009
	BG under Water Act forfeited 
Letter received from the unit in response to our forfeiture of BG on 6.1.09.
Wrt CGWA clearance, the unit claims that the clearance is not required for the existing units.
	Ask the unit to file affidavit and photographs for correction of the deficiencies. Call on 22.04.2009

	10
	M/s Jai Paras Steel, 
	A-16, Wazirpur Indl. Area
	Pickling, 
	                   05.11.2008
The following deficiencies were noted by SIT be communicated to the unit for correction:
(i) ECS needs to be repaired as fumes were observed around pickling area.
Call on 10.12.2008
                      11.12.2008
Ask the unit to file adequacy report. Call on 21.01.2008
                         21.01.2009
Call on 04.03.2009
	Letter issued.
Reply received stating that they have applied for Adequacy Report and will submit as soon as they receive the same.waited.
	Call on 22.04.2009 with latest adequacy report.

	11
	M/s Ravi Steel Industries, 
	69 & 70 Shed, Wazirpur Indl. Area. 
	Pickling, Annealing, Re-rolling
	             30.01.2008
He may be asked to file Bank Guarantee of Rupees One Lakh under Air Act valid upto 06.02.2010. 
                        19.09.2008
Call on 20.10.2008 with compliance of correction of deficiencies.
                 05.11.2008
Ask the unit to file affidavit for correction of deficiencies noted by SIT. Call on 10.12.2008
                  11.12.2008
No action.
                   21.01.2009
No action.
	No action.
	No action.

	12
	M/s Shree Krishna Rolling Industries,  
	A-16, Wazirpur Indl. Area
	As informed by other units in same premises,   M/s Krishna Rolling is not existing 
	                       19.09.2008
Issue reminder for compliance report. Call on 20.10.2008
                     05.11.2008
Issue final reminder for compliance report. Call on 10.12.2008
                       11.12.2008
Issue fresh reminder. Call on 21.01.2009
                       21.01.2009
Call on 04.03.2009
	Fresh reminder issued to DJB and MCD for compliance.
 No reply received.
	Issue final reminder to DJB & MCD for compliance. Call on 22.04.2009


