 Minutes of the 141st meeting of the Committee Constituted for Deciding the Consent under Orange Category, held on 12.05.2010 in the Conference Room of Chairman, DPCC.

   The following persons attended the meeting:

Sh. Dharmendra, Chairman, DPCC

Dr. A.K.Ambasht, Member Secretary, DPCC

Prof. S. K. Gupta, IIT-Delhi 

Sh. M. Dwarakanth, SSO, Dept. of Env,. GNCTD 
Sh. B. Kumar, SEE, DPCC 

EEs of CMC –  I, II, III & IV.


AEEs of CMC – I, II, III & IV.


Agenda Item No. 1- Personal hearings :- (i) G & S. SAROVER PARK PLAZA HOSPITALITY PVT. LTD, 14, DSTRICT CENTRE, LAXMI NAGAR (ii) MCDONALD'S FAMILY RESTAURANT, S-27, GREEN PARK MARKET (iii) MCDONALD'S FAMILY RESTAURANT, 6A-6B, SONIA CINEMA COMPLEX, VIKASPURI (iv) Group Housing Complex (Mega House) by Delhi Development Authority, Vasant Kunj (v) Y.C.Kurele, 59/18, Main Rohtak Road (vi) Mega Housing Project " Construction of HIG/ MIG/ LIG at Vasant Kunj, Delhi

.  
(i) G & S. SAROVER PARK PLAZA HOSPITALITY PVT. LTD, 14, DSTRICT CENTRE, LAXMI NAGAR 
The representative of DSIDC attended the hearing and assured that ETP will be installed within 06 months and the noise monitoring report of the D.G. Set has already been submitted. Copy of the noise monitoring report supplied during the personal hearing. Further, he informed that ETP will be operational by November, 2010. Time allowed upto November, 2010. Issue consent to establish. 
(ii) MCDONALD'S FAMILY RESTAURANT, S-27, GREEN PARK MARKET 
The unit came for personal hearing today. The representative of the unit informed that the outlet of Green Park has been closed about six months back and requested to close the case. Consent application be made infructuous. 
(iii) MCDONALD'S FAMILY RESTAURANT, 6A-6B, SONIA CINEMA COMPLEX, VIKASPURI 
The unit came for personal hearing today. Ask the unit to install ETP within 03 months to ensure the compliance of effluent standards in view of notification by Govt. of India; failing which, appropriate action will be initiated as per the provisions of laws.  
(iv) Group Housing Complex (Mega House) by Delhi Development Authority, Vasant Kunj 
The unit did not come for personal hearing today. A letter be sent to Vice Chairman, DDA through MS, DPCC to resolve the issue. 
(v) Y.C.Kurele, 59/18, Main Rohtak Road, Mundaka, Delhi
One representative of the unit appeared before the committee and handed over a letter informing that the concerned representative who is looking after the statutory requirements is on leave and requested to extend the date of hearing for the first week of June, 2010. It has decided that deficiencies noted during the SIT inspection be communicated to the unit for corrections and confirmation on an affidavit. Also ask the unit to apply for consent to operate at the time of commissioning of the project. 
(vi) Mega Housing Project " Construction of HIG/ MIG/ LIG at Vasant Kunj, Delhi

The unit did not come for personal hearing today. A letter be sent to Vice Chairman, DDA through MS, DPCC to resolve the issue. 

Agenda Item No. 2- Fresh Consent to Establish cases w.e.f. 21.05.2009 considered by Scrutinizing Committee on 06.04.2010/07.04.2010/08.04.2010/09.04.2010.  
Decisions taken with respect to this agenda are tabulated and annexed as Annexure – 1. 
Agenda Item No. 3- Negolic India Ltd. (proposed residential complex named Victoria Garden at Ring Garden at Ring Road Azadpur), F-34, 2nd Floor, Harsh Bhawan, Cannught Circus. 

Legal opinion from the advocate on the panel of the DPCC be taken  on the entire issue including the question of CMC’s power to review its decision. 

Table Agenda Item No 1 : M/s Rumi Refrigeration Industries, A-25, Phase-II, Mayapuri Industrial Area, New Delhi-64
Issue renewal of consent with the condition to obtain the permission from DJB for ground water extraction. 
Table Agenda Item No 2 : M/s S.G. Engineers, H-48, Udyog Nagar Industrial Area, Delhi-41
Issue renewal of consent. 

Meeting ended with thanks to the chair.
	Sl .No
	ID No
	appl_dt
	firm_name
	firm_address
	area_name
	Proposed  Activity/ Product
	Earlier CMC Decisions  
	ATR / Remarks
	Recommendations of Scrutinizing Committee on 06.04.2010/07.04.2010/08.04.2010/09.04.2010 
	Decision on 12.05.2010

	1
	29997
	21-05-2009
	STEPHY INDUSTRIES
	PLOT NO 7, GALI NO 4
	FRIENDS COLONY INDUSTRIAL AREA
	Mfg. of Kitchen Wares with Buffing
	17.06.09
Issue SCN u/s 31(A) of the Air Act. Call on 19.08.2009
	BUA: 125 sqm
Ground Water: nil
Water Consumption: 100lit/day
Waste Water:
(a) Domestic Effluent: 50 lit/day
(b) Trade Effluent: nil
Year of Establishment: 2009
	Confirm closure directions.
	Confirm closure directions.

	2
	30005
	21-05-2009
	JOGINDER INDUSTRIES
	PLOT NO 74, POCKET-H, SECTOR-2
	BAWANA INDUSTRIAL AREA
	Mfg of Circlips /Fastener's (Steel Springs)
	 
	BUA: 100 Sq mt
GW: Nil
Water Consumption: 90 Lt/  Day 
Waste Water:
(a) Dommestic effluent: 20 Lt/ Day 
(b) Trade Effluent:Nil
Year of  estblishment:2009
	Recommended for grant of consent to establish. Subsequently, inspection be conducted. Ask the unit to apply for authorization under HWM Rules.
	Issue consent to establish. Subsequently, inspection be conducted. Ask the unit to apply for authorization under HWM Rules.

	3
	30009
	22-05-2009
	ARCHIE AND JUGHEAD INDIA
	B-144, PHASE-I
	MAYAPURI INDUSTRIAL AREA
	mfg. of photo frames and plastic goods.
	 
	Year of commencement:- July ,2009.
No trade effluent.
D.G Set of 25 KVA proposed.
Also applied for authorisation under HWM rules.
	Recommended for grant of consent to establish. Ask the unit to apply for authorization under HWM Rules.
	Issue consent to establish. Ask the unit to apply for fresh authorization under HWM Rules.

	4
	30012
	22-05-2009
	SINGLA AUTOMOBILES
	A-96, PHASE-II
	MAYAPURI INDUSTRIAL AREA
	Servicing &repairing center of Motor cycles
	16.03.09
Ask the unit to apply for consent to establish, file fresh adequacy report of ETP from approved consultants of DPCC and to file permission from DJB for extracting the ground water.
24.06.09 
Ask the unit to file full complaince within one month
	CTO issued valid upto 17.08.08.
Applied for CTO-R on 12.08.08.
Letter issued on 15.07.09. Reply received unit has applied in DJB for GW extraction.
Applied for authorization under HWM rules on 18.08.05.
Trade Eff: 5 KLD
DG. SET : Nil
	Recommended for grant of consent to establish. Ask the unit to apply for fresh authorization under HWM Rules.
	Issue consent to establish. Ask the unit to apply for fresh authorization under HWM Rules.

	5
	30015
	22-05-2009
	21ST CENTURY BUSINESS COMMUNITY
	A-58/1, PHASE-II
	OKHLA INDUSTRIAL AREA
	hotels & restaurant service for 50 room & 50 seats restaurant.
	 
	1. Comencement: oct 2009.
2.Trade effluent-3000 lt/day. STP proposed.
3.DG-62.5 Kva.
4.GW-nil.
5.CTO not applied.
	Recommended for grant of consent to establish. Subsequently, inspection be conducted.
	Issue consent to establish. Subsequently, inspection be conducted.

	6
	30017
	22-05-2009
	A & S LABLES PVT. LTD.
	F-27, PHASE-II
	MAYAPURI INDUSTRIAL AREA
	Printing of labels, cutting, inspection & delivery 
	05.03..09
Ask the unit to apply for CTE under orange category and under green category becomes infructous in view of hazaardous waste generating activity of printing being carried out.
04.06.09
Implement the earlier CMC decision dated 05.03.09 for making the application infructous.
	Earlier CTE issued under green category on 20.04.06.
CTO application under green category was made infructous on 16.04.09
Trade Eff: nil
Dg set: 62.5 KVA
	Recommended for grant of consent to establish. Ask the unit to apply for authorization under HWM Rules.
	Issue consent to establish. Ask the unit to apply for authorization under HWM Rules.

	7
	30021
	22-05-2009
	SAKSHI PACKAGING
	G-1040, DSIDC
	NARELA INDUSTRIAL AREA
	Mfg of pet bottles
	 
	Using fresh raw material.
	Recommended for grant of consent to establish.
	Issue consent to establish.

	8
	30031
	25-05-2009
	SATISH KUMAR
	B-26
	LAWRENCE ROAD INDUSTRIAL AREA
	mfg of plastic bags with printing
	 
	CTO garnted and valid up to 22.07.2007
CTR applied on 17.08.2007.
Using fresh raw material.
	Recommended for grant of consent to establish with the condition that the unit will comply with the provisions of The Delhi Degradable Plastic Bag Act, 2000 envisaging the minimum thickness of plastic bag as 40 micron and size as 8" x 12". Ask the unit to apply for authorization under HWM Rules.
	Issue consent to establish with the condition that the unit will comply with the provisions of The Delhi Degradable Plastic Bag Act, 2000 envisaging the minimum thickness of plastic bag as 40 micron and size as 8" x 12".  Ask the unit to apply for authorization under HWM Rules.

	9
	30033
	25-05-2009
	LUSTRA PRINT PROCESS PVT LTD.
	B-249
	NARAINA INDUSTRIAL AREA PH-I
	offset printing with trade effluent discharge
	15.06.09
Ask the unit to file adeqaucy report from empanelled consultant of DPCC. Call on 12.08.09.
	CTO issued on 21.05.05
Applied for CTO-R on 14.02.09.
Applied for renewal of authorization under HWM Rules on 12.07.06
Letter dated 24.04.09 issued .
Reply received along with adeqaucy report.
Trade Eff: 150 ltrs/ day
DG Set : 3 X 125 KVA
	Recommended for grant of consent to establish. Ask the unit to apply for authorization under HWM Rules.
	Issue consent to establish. Ask the unit to apply for fresh authorization under HWM Rules.

	10
	30034
	25-05-2009
	S.S. MOULDING INDUSTRIES
	B-46/4
	WAZIRPUR INDUSTRIAL AREA
	mfg of plastic moulded small containers (dibbi) and perfumery and cosmetics
	 
	CTO garnted and valid up to 18.08.2007
CTR applied on 21.08.2005
	Recommended for grant of consent to establish.
	Issue consent to establish.

	11
	30037
	25-05-2009
	KNITCRAFT APPARELS INTERNATIONAL PVT. LTD.
	A-81
	NARAINA INDUSTRIAL AREA PH-I
	Mfg. of readymade garments with washing 
	20.10.09
Case be delisted.
24.06.09
Ask the unit to apply for CTO.
	Earlier CTE issued for the activity of Mfg. of readymade garments with out washing  Applied for authorization under HWM rules on 25.05.05.
Application for CTE dated 02.11.07 made infructuos on 18.11.09.
Trade Eff: 4 KLD
DG Set; 1 X 125 & 1X 65 KVA (proposed) 
Unit submitted a letter on 25.03.09 for extension of CTE.
	Recommended for grant of consent to establish. Subsequently, inspection be conducted.
	Issue consent to establish. Subsequently, inspection be conducted.

	12
	30044
	25-05-2009
	SNS WIRE PRODUCTS
	8/2, PHASE-I, GATE NO 2
	BADLI INDUSTRIAL ESTATE
	Stainless steel cold re-rolling
	 
	Plot Area:200 sq.mts
Year of establishment-May 2009
Trade effluent-NIL
DG set-NIL
	Recommended for grant of consent to establish.
	Issue consent to establish.

	13
	30045
	25-05-2009
	SANMATI ENTRPRISES
	8/2, PHASE-I, GATE NO 2
	BADLI INDUSTRIAL ESTATE
	Stainless steel cold re-rolling
	 
	Plot Area:200sq.mts
Year of establishment-30th May 2009
Trade effluent-NIL
DG set-NIL
	Recommended for grant of consent to establish.
	Issue consent to establish.

	14
	30055
	26-05-2009
	AUTO VIKAS SALES & SERVICE PVT. LTD.
	62A
	NAJAFGARH ROAD INDUSTRIAL AREA
	Service station
	Decision on 09.04.09
Ask the unit to apply for Consent to Establish and file permission from DJB for ground water extraction. Also ask the unit to install ETP immediately. Call on 19.05.2009.
Decision on 15.06.09.
Issue reminder.
	Reminder issued on 07.07.09.
Unit submittted its reply on 13.08.09 stating that they have applied in DJB for GW extraction.Trade effluent- 500 LPD.
D.G Set of 62.5 KVA installed.
Aplied for authorisation under HWM.
	Recommended for grant of consent to establish. Subsequently, inspection be conducted. Ask the unit to apply for fresh authorization under HWM Rules.
	Issue consent to establish. Subsequently, inspection be conducted. Ask the unit to apply for fresh authorization under HWM Rules.

	15
	30057
	26-05-2009
	METAL FORGINGS PVT. LTD.
	B-1, B-17, PHASE-I
	MAYAPURI INDUSTRIAL AREA
	Mfg. of automobile parts and engineering goods.
	Decision on 20.03.09.
Ask the unit to apply for consent to establish, submit affidavit for source of water supply and noise monitoring report of the D.G.Set from an approved laboratory of DPCC. Call on 29.04.2009.
Decision on 11.05.09.
Issue final reminder for full compliance off earlier CMC decision.
	unit has applied for CTO on 12.04.07. Subsequent to a complaint received unit was inspected by PGRC trainees  on 13,07.09. Unit did not allow to conduct the inspection.
No trade effluent.
D.G Set of 600 KVA and 750 KVA installed.
	Issue SCN for refusal of consent and SCN for closure of the unit.
	Case be considered after implementation of decision of Scrutinizing Committee.

	16
	30061
	26-05-2009
	HARPREET MOTORS PVT. LTD.
	B-242, PHASE-I
	OKHLA INDUSTRIAL AREA
	denting painting repairing & servicing of cars
	 
	1. Comencement:August 2009
2.Trade effluent-4800 lt/d, ETP to be installed. 
3.DG-125kva
4.GW-6000 lt/d
5.CTO not applied.
6. HWM applied.
	Recommended for grant of consent to establish. Subsequently, inspection be conducted. Ask the unit to apply for authorization under HWM Rules.
	Issue consent to establish. Subsequently, inspection be conducted. Ask the unit to apply for authorization under HWM Rules.

	17
	30063
	26-05-2009
	S.R. WIRE
	D-46
	SMA INDUSTRIAL AREA
	S.S wire  drawing
	 
	Trade effluent- 1 KLD
CTO applied on 21.12.2006
	Inspection be conducted.
	Issue consent to establish. Subsequently, inspection be conducted.

	18
	30074
	27-05-2009
	ESKA AUTO INDUSTRIES
	83, PHASE-II
	BADLI INDUSTRIAL ESTATE
	Hot re- rolling of Stainless steel
	20.10.2009- CTE will be granted after submission of the revalidated BG with in 2 days 
Reply received on 29.12.2009
	CTR applied on 09.03.2007
CTE applied on 09.09.2007
	Suitable letter be sent to the unit from the cell.
	Case be considered after implementation of decision of Scrutinizing Committee.

	19
	30076
	27-05-2009
	B.P. PRODUCTS
	PLOT NO 139, SECTOR-1, POCKET-B, DSIDC
	BAWANA INDUSTRIAL AREA
	Mfg Plastic House Hold Products With Injection Moulding Machine w/o trade effluent
	 
	BUA: 90 Sq mt
GW: 800Lt/Day
Water Consumption: 800 Lt/  Day 
Waste Water:
(a) Dommestic effluent: 300 Lt/ Day 
(b) Trade Effluent:Nil
Year of  estblishment: 2009
	Recommended for grant of consent to establish.
	Issue consent to establish.

	20
	30078
	27-05-2009
	APOLLO FURNISHERS
	B-62/10, PHASE-II
	NARAINA INDUSTRIAL AREA PH-II
	Mfg. of office furniture
	Decision on 04.06.09
Consent to Operate application becomes infructous in view of finding of inspection.
	CTE issued on 12.11.02 valid upto 06.11.03 for the activity of Mfg. of steel & wooden furniture with phosphating.
Application of CTE dated 26.02.08 and CTO dated 10.05.07 under green category refused on 15.04.09 as activity falls under orange category.
No trade effluent.
No D.G Set
	Recommended for grant of consent to establish.
	Issue consent to establish.

	21
	30094
	28-05-2009
	GOGIA FRAGRANCES PVT. LTD.
	A-127, PHASE-II
	OKHLA INDUSTRIAL AREA
	Mfg of industrial perfumery and fragrance compound.
	 
	1. Comencement:Jul 2009
2.Trade effluent-Nil
3.DG-62.5kva
4.GW-Nil
5.CTO not applied.
	Recommended for grant of consent to establish.
	Issue consent to establish.

	22
	30108
	28-05-2009
	COLOUR MASTER
	A-1/A
	NARAINA INDUSTRIAL AREA PH-II
	OFFSET PRINTING
	Decision on 05.03.2009
Ask the unit to apply for CTE under orange category and the application under green category becomes infructrous in view of hazardous waste generating activity of printing being carried out.
	Appliaction on CTO under Green category made infructrous. Now unit has applied under orange category.
Year  of commencement:-  2006
Plot Area:- 3300 Sq Ft
No trade effluent.
NO D.Gset..
Unit has also applied for Authorisation under HWM rules.
	Recommended for grant of consent to establish. Ask the unit to apply for authorization under HWM Rules.
	Issue consent to establish. Ask the unit to apply for authorization under HWM Rules.

	23
	30109
	29-05-2009
	SHREE JAI MATA PLASTICS
	K-59
	UDYOG NAGAR INDUSTRIAL AREA
	Mfg. of granules
	 
	Year  of commencement:-  June,2009.
Plot Area:- 170 Sqm.
No trade effluent.
NO D.Gset.
	Recommended for grant of consent to establish.
	Issue consent to establish.

	24
	30110
	29-05-2009
	SIVA PLASTIC INDUSTRIES
	K-59
	UDYOG NAGAR INDUSTRIAL AREA
	Plastic moulding Products                       
	 
	Year  of commencement:-  June,2009.
Plot Area:- 170 Sqm.
No trade effluent.
NO D.Gset.
	Recommended for grant of consent to establish.
	Issue consent to establish.

	25
	30121
	29-05-2009
	BOUTIQUE INTERNATIONAL
	D-5/1, PHASE-II
	OKHLA INDUSTRIAL AREA
	mfg of readymade garmnets.
	                      16.03.2009
Call on 20.03.2009                     
                      20.03.2009
Ask the unit to apply for Consent to Establish, noise monitoring report of D.G. Set from approved laboratoires of DPCC and affidavit about source of water supply.  Call on 29.04.2009.
                       11.05.2009
Issue final reminder for full compliance of earlier CMC decision. Call on 24.06.2009
                       24.06.2009
Issue SCN for refusal of consent. Call on 26.08.2009
	Reply received along with adequcay report of Jun 2006 and NMR of DG Set. Affidavit for the source of water supply not submitted.

1. Comencement:2009
2.Trade effluent-6000 lt/day, ETP installed
3.DG-250 kva (Stack height inadeqaute as per NMR)
4.GW-nil
5. CTO applied on 21.06.05. Fresh CTO not applied.
	Recommended for grant of consent to establish. Subsequently, inspection be conducted.
	Issue consent to establish. Subsequently, inspection be conducted.

	26
	30122
	29-05-2009
	GENESIS PRINTERS
	C-74, DDA SHED, PHASE-I
	OKHLA INDUSTRIAL AREA
	screen printing
	 
	1. Comencement:June 2009
2.Trade effluent-nil
3.DG-10kva
4.GW-nil
5.CTO applied on 29.03.10 vd. Id no. 33351.
	Recommended for grant of consent to establish. Ask the unit to apply for authorization under HWM Rules.
	Issue consent to establish. Ask the unit to apply for authorization under HWM Rules.

	27
	30123
	29-05-2009
	ANIL INDUSTRIES
	PLOT NO 279, POCKET-B, SECTOR-4
	BAWANA INDUSTRIAL AREA
	Glass Products
	 
	BUA: 350 Sq mt
GW: Nil
Water Consumption: 600 Lt/  Day 
Waste Water:
(a) Dommestic effluent: 200 Lt/ Day 
(b) Trade Effluent:Nil
Year of  estblishment: 2009.

Applied for CTE under Green category made issued on 31.8.2009, valid on 31.8.2010
Applied for CTE on  29.05.09
	Inspection be conducted.
	Inspection be conducted in view of the negative list of MPD-2021.

	28
	30129
	01-06-2009
	RARE CARE COSMETICS
	PLOT NO 340/3 (NEW MPL. NO 1/424/3), GALI NO 1-B
	FRIENDS COLONY INDUSTRIAL AREA
	Mfg. of cosmetic creams
	17.06.09
Issue SCN u/s 21 of the Air Act and u/s 25/26 for not obtaining consent to operate. Call on 19.08.2009
	BUA: 100 sqyd
Ground Water: nil
Water Consumption: 50 lit/day
Waste Water: 
(a) Domestic Effluent: 20 lit/day
(b) Trade Effluent: nil
Year of Establishment: 2008
	Issue SCN for refusal of consent and SCN u/s 31(A) of the Air Act for closure of the unit.
	Case be considered after implementation of decision of Scrutinizing Committee.

	29
	30130
	01-06-2009
	SHAILESH KUMAR AGGARWAL
	PLOT NO 1/536-B/14, GALI NO 5
	FRIENDS COLONY INDUSTRIAL AREA
	Aluminium wire drawing with super enamelling
	 
	BUA:62 sqm
Ground Water: nil
Water Consumption: 100 lit/day
Waste Water:
(a) Domestic Effluent: 20 lit/day
(b) Trade Effluent: nil
Year of Establishment: 2008
	Recommended for grant of consent to establish. Subsequently, inspection be conducted.
	Issue consent to establish. Subsequently, inspection be conducted. Also ask the unit to apply for consent to operate immediately. 

	30
	30132
	01-06-2009
	AKASH JYOTI OFFSET PRINTERS
	6/2, DLF
	NAJAFGARH ROAD INDUSTRIAL AREA
	Offset printing.
	 
	Earlier CTO issued valid upto 28.03.05. Application of CTO-R dated 16.03.05 under green category made infructrous as the unit generates waste from printing activity and falls under orange category. Applied for renewal of authorisation on 01.08.06
No trade effluent.
D.G Set of 15 KVA installed.
Unit exiating since 1992.
	Recommended for grant of consent to establish. Ask the unit to apply for authorization under HWM Rules.
	Issue consent to establish. Ask the unit to apply for authorization under HWM Rules.

	31
	30147
	01-06-2009
	GANPATI PLASTIC
	A-98/6, 2ND FLOOR
	WAZIRPUR INDUSTRIAL AREA
	Mfg of plastic goods
	 
	One DG set of 50 KVA proposed.
Using fresh raw material.
	Recommended for grant of consent to establish.
	Issue consent to establish.

	32
	30149
	01-06-2009
	K.R. STEELS
	A-90/1, GROUP
	WAZIRPUR INDUSTRIAL AREA
	Cold re- rolling of s.s steel sheets
	 
	Plot Area:100sq.mts
Year of establishment-June 2009
Trade effluent-NIL
DG set-NIL
	Recommended for grant of consent to establish.
	Issue consent to establish.

	33
	30158
	02-06-2009
	M.P. STEEL
	SHED NO 100, GROUND FLOOR, DSIDC
	WAZIRPUR INDUSTRIAL AREA
	Cold re- rolling of s.s steel sheets
	 
	Plot Area:130 sq.mts
Trade effluent-NIL
DG set-NIL
	Recommended for grant of consent to establish.
	Issue consent to establish.

	34
	30162
	02-06-2009
	AARES SPRING INDUSTRIES
	PLOT NO 25, POKET-P, SECTOR-5, DSIDC
	BAWANA INDUSTRIAL AREA
	Mfg Plastic Moulding Goods 
	 
	BUA: 150 Sq mt
GW: Nil
Water Consumption: 250 Lt/  Day 
Waste Water:
(a) Dommestic effluent: 100 Lt/ Day 
(b) Trade Effluent:Nil
Year of  estblishment: 2009
	Recommended for grant of consent to establish.
	Issue consent to establish.

	35
	30163
	02-06-2009
	INTERCORP BIOTECH LIMITED
	SHED NO 99, DSIDC, PHASE-I
	OKHLA INDUSTRIAL AREA
	making health foods, diet foods vitaminised foods, mineral water purified powder & pountry feed supplementary
	 
	1. Comencement:2003
2.Trade effluent-nil
3.DG-nil
4.GW-nil
5.CTO applied on 22.05.09 vd. Id. No. 30020
	Recommended for grant of consent to establish.
	Issue consent to establish.

	36
	30165
	02-06-2009
	P.C. CHADHA & CO.
	B-104/1
	NARAINA INDUSTRIAL AREA PH-I
	Mfg. of labels & stickers
	 
	CTO issued on 24.09.04 
Applied for CTO on 01.06.09.
Trade Eff: nil
DG St: 37.5 KVA  
	Recommended for grant of consent to establish. Ask the unit to apply for authorization under HWM Rules.
	Issue consent to establish. Ask the unit to apply for authorization under HWM Rules.

	37
	30166
	03-06-2009
	INDITEX INDIA
	C-268, PHASE-II
	MAYAPURI INDUSTRIAL AREA
	Mfg. of Electrical Control panel(with phosphating and painting)
	09.04.09
Ask the unit to apply for CTE and file permission from DJB for ground water extraction. Also ask the unit to file fresh adequecy report of ETP from empanelled consultant of DPCC and noise monitoring report of D.G.Set from approved laboratory of DPCC. Call on 19.05.09.
15.06.09
Time allowed for full compliance. Call on 12.08.09
	CTO refused on  19.04.05 as unit has not obtained authhorisation under HWM.
CTO issued on 09.03.06 under orange category valid upto 28.04.08. 
Apply for CTO-R under orange category on 28.03.08.
Applied for renewal of  authorisation under HWM on 28.03.08
Trade effluent : 900 ltr/day
D.G.Set: 62.05 K.V.A
	Recommended for grant of consent to establish. Ask the unit to apply for fresh authorization under HWM Rules.
	Issue consent to establish. Ask the unit to apply for fresh authorization under HWM Rules.

	38
	30167
	03-06-2009
	K.B.S. SONS & CO.
	308/4
	SHAHZADA BAGH INDUSTRIAL AREA
	PVC/Plastic Products & plating & finishing
	 
	BUA: 50 sqm
Ground Water: nil
Water Consumption: 120 lit/day
Waste Water:
(a) Domestic Effluent: 20 lit/day
(b) Trade Effluent:30 lit/day
Year of Establishment:
	Recommended for grant of consent to establish. Subsequently, inspection be conducted. Ask the unit to apply for authorization under HWM Rules.
	Issue consent to establish. Subsequently, inspection be conducted. Ask the unit to apply for authorization under HWM Rules.

	39
	30176
	03-06-2009
	THE BAGLA COSMETICS PVT. LTD.
	B-112
	GTK ROAD INDUSTRIAL AREA
	Cosmetics items
	 
	Plot Area:195 sq mt
Year of establishment-July, 2009
Trade effluent-NIL
DG set-NIL
	Recommended for grant of consent to establish.
	Issue consent to establish. Subsequently, inspection be conducted.

	40
	30180
	03-06-2009
	NISHA CABLES CO. (P) LTD.
	PLOT NO 145, SECTOR-1, POCKET-L, DSIDC
	BAWANA INDUSTRIAL AREA
	Dal Mill
	 
	BUA: 250 Sq mt
GW: Nil
Water Consumption: 250 Lt/  Day 
Waste Water:
(a) Dommestic effluent: 200 Lt/ Day 
(b) Trade Effluent:Nil
Year of  estblishment: 2009
	Recommended for grant of consent to establish. Subsequently, inspection be conducted.
	Issue consent to establish. Subsequently, inspection be conducted.

	41
	30181
	03-06-2009
	CARTEX AUTO SYSTEM
	PLOT NO 146, SECTOR-1, POCKET-L, DSIDC
	BAWANA INDUSTRIAL AREA
	Dal Mill
	 
	BUA: 250 Sq mt
GW: Nil
Water Consumption: 250 Lt/  Day 
Waste Water:
(a) Dommestic effluent: 200 Lt/ Day 
(b) Trade Effluent:Nil
Year of  estblishment: 2009
	Recommended for grant of consent to establish. Subsequently, inspection be conducted.
	Issue consent to establish. Subsequently, inspection be conducted.

	42
	30183
	03-06-2009
	FRONTIER BISCUIT FACTORY PVT. LTD.
	C-35/10
	LAWRENCE ROAD INDUSTRIAL AREA
	Mfg of bakery products e.g biscuits
	 
	One DG-62.5 KVA
Trade effluent : 0.1 KLD.
	Recommended for grant of consent to establish.
	Issue consent to establish. Subsequently, inspection be conducted.

	43
	30188
	04-06-2009
	KRITI
	B-279, PHASE-I
	OKHLA INDUSTRIAL AREA
	printing including plate making
	                 20.03.2009
Ask the unit to apply for consent to establish, renewal of consent, authorization under HWM Rules, submit adequacy report of ETP from any of the empanelled consultants of DPCC and noise monitoring report of the D.G.Set from approved laboratories of DPCC. Call on 29.04.2009.
                  11.05.2009
Issue final reminder for full compliance of earlier CMC decision. Call on 24.06.2009
                   24.06.2009
Ask the unit to file full compliance within 01 month. Call on 26.08.2009
	Reply received  on 08.06.09 unit has applied for CTE and also applied for HW. NMR submitted.Unit has applied for adequacy at IP university but not submitted.

1. Comencement:2003
2.Trade effluent-500 lt/d, ETP Installed.
3.DG-2 No.s of 62.5 Kva and 125 Kva
4.GW-nil
5.HWM applied
6.Earlier CTO valid upto 16.08.07, CTR applied on 27.11.07
	Recommended for grant of consent to establish. Ask the unit to apply for authorization under HWM Rules.
	Issue consent to establish. Ask the unit to apply for authorization under HWM Rules and also to submit fresh adequacy report of ETP from empanelled consultant of DPCC.

	44
	30189
	04-06-2009
	SAWHNEY GLOBAL CREATIONS
	B-144, PHASE-I
	OKHLA INDUSTRIAL AREA
	mfg of ready made garmnets with washing
	 
	1. Comencement:Aug 2007
2.Trade effluent-5000 lt/d, ETP proposed.
3.DG-110kva
4.GW-6300 lt/d
5.CTO not applied.
	Recommended for grant of consent to establish. Subsequently, inspection be conducted.
	Issue consent to establish. Subsequently, inspection be conducted.

	45
	30192
	04-06-2009
	R.K. ELECTRICAL INDUSTRIES (INDIA_
	A-47
	NARAINA INDUSTRIAL AREA PH-I
	Mfg of PVC/ XPLE Cables and wires of different sizes.
	 
	Application for CTO refused on  18.09.06 as unit had not submitted following documents: 1) CA certificate , 2) proof of CETP memebership, 3) NMR, 4) reply of letter dated 05.06.05 regarding submmission of above documents.'
Applied for CTO-R on 06.11.06
Trade Eff: 750 ltrs/ day
DG Set : Proposed
	Recommended for grant of consent to establish. Subsequently, inspection be conducted.
	Issue consent to establish. Subsequently, inspection be conducted.

	46
	30207
	05-06-2009
	PREM PLASTIC
	K-88
	UDYOG NAGAR INDUSTRIAL AREA
	Mfg of polythene tubes for packaging purpose above 40 microns.
	04.03.09
Ask the unit to apply for Consent to Establish
	applied for CTO-R on 25.04.05
DG set : 82 KVA
Trade Eff: Nil
	Recommended for grant of consent to establish with the condition that the unit will comply with the provisions of The Delhi Degradable Plastic Bag Act, 2000 envisaging the minimum thickness of plastic bag as 40 micron and size as 8" x 12". 
	Issue consent to establish with the condition that the unit will comply with the provisions of The Delhi Degradable Plastic Bag Act, 2000 envisaging the minimum thickness of plastic bag as 40 micron and size as 8" x 12". 

	47
	30210
	05-06-2009
	MOHD. NAIM
	C-60/1 (TOP FLOOR)
	WAZIRPUR INDUSTRIAL AREA
	Polishing /bufffing on S.S utensils
	 
	Plot Area:300 sq mt
Year of establishment-June, 2009
Trade effluent-NIL
DG set-NIL
	Recommended for grant of consent to establish. Subsequently, inspection be conducted.
	Issue consent to establish. Subsequently, inspection be conducted.

	48
	30215
	08-06-2009
	ALLIED PUBLISHERS PVT LTD.
	A-104, PHASE-II
	MAYAPURI INDUSTRIAL AREA
	Offset printing with plate making
	11.05.09
Issue final reminder for full complaince of earlier CMC decision to seek permission for ground water extraction from DJB in view of new orders.
	Application under green category refused on 05.12.06
Applied for CTO on 24.01.07.
Applied for renewal of authorization under  HWM rules issued on 11.02..09. 


DG Set :2X62.5 KVA       
Trade Eff: 250 ltrs/day
	Recommended for grant of consent to establish. Ask the unit to apply for fresh authorization under HWM Rules.
	Issue consent to establish. Ask the unit to apply for fresh authorization under HWM Rules.

	49
	30226
	08-06-2009
	D.K. INDUSTRIES
	A-13 (BACKSIDE), GROUP
	WAZIRPUR INDUSTRIAL AREA
	Mfg of S.S utensils
	 
	Plot Area:120sq yards
Year of establishment-2008
Trade effluent-NIL
DG set-NIL
	Recommended for grant of consent to establish.
	Issue consent to establish. Subsequently, inspection be conducted.

	50
	30227
	08-06-2009
	BAJAJ MOTORS
	T-5/242, PHASE-I
	MANGOL PURI INDUSTRIAL AREA
	Mfg of automobile service and repair workshop
	 
	Trade effluent-250l/d
CTO granted and valid up to 28.07.2005
CTR applied on 22.06.2007
	Recommended for grant of consent to establish. Ask the unit to apply for authorization under HWM Rules.
	Issue consent to establish. Ask the unit to apply for authorization under HWM Rules. Subsequently, inspection be conducted.

	51
	30235
	09-06-2009
	J.B.C. ENGINEERS (P) LTD.
	A-5/6
	JHILMIL INDUSTRIAL AREA
	Mfg. of PVC wires and cables and wiring harness
	 
	BUA: 316 sqm
Ground Water: nil 
Water Consumption: 220 lit/day
Waste Water:
(a) Domestic Effluent: 150 lit/day
(b) Trade Effluent: nil
Year of Establishment: 2002
	Recommended for grant of consent to establish.
	Issue consent to establish.

	52
	30237
	09-06-2009
	MANORANJAN WIRE INDUSTRIES PVT.  LTD.
	PLOT NO 561, GALI NO 7
	FRIENDS COLONY INDUSTRIAL AREA
	Copper wire drawing
	17.06.09
Ask the unit to confirm its reply on an affidavit. Call on 19.08.2009
	BUA: 200 sq yd
Ground Water: nil
Water Consumption: 50 lit/day
Waste Water:
(a) Domestic Effluent: 20 lit/day
(b) Trade Effluent: nil
Year of Establishment: 2008
	Recommended for grant of consent to establish. Ask the unit to apply for authorization under HWM Rules.
	Issue consent to establish. Ask the unit to apply for authorization under HWM Rules and also to remove the facilities of super enamelling and confirm it on an affidavit. 

	53
	30240
	09-06-2009
	PROGRESSIVE PRINTERS
	PLOT NO A-21
	JHILMIL INDUSTRIAL AREA
	Printing of Papers (Offset Printing Press)
	 
	BUA: 300 sq yd
Ground Water: nil
Water Consumption: 200 lit/day
Waste Water:
(a) Domestic Effluent: 150 lit/day
(b) Trade Effluent: nil
Year of Establishment: 1990.

CTO issued on 01.04.03. Expired on 25.04.07.
CTR made infructuous on 13.01.09.
Applied for CTE on 09.06.09
	Recommended for grant of consent to establish. Ask the unit to apply for authorization under HWM Rules.
	Issue consent to establish. Ask the unit to apply for authorization under HWM Rules.

	54
	30244
	10-06-2009
	VASAN ABHA
	190, DSIDC SHEDS, PHASE-I
	OKHLA INDUSTRIAL AREA
	dyeing & washing of ready made / cloth garmnets
	                 16.03.2009
Ask the unit to apply for consent to establish, file permission from Central Ground Water Authority for extracting the ground water and noise monitoring report of D.G.Set from empanelledlaboratories of DPCC. Call on 29.04.2009.
                   11.05.2009
Issue final reminder for full compliance of earlier CMC decision with direction to seek permission for ground water extraction from DJB in view of new orders. Call on 24.06.2009
                  24.06.2009
Ask the unit to file full compliance within 01 month. Call on 26.08.2009
	Unit has not submitted NMR and DJB permission in compliance of earlier CMC decision.

1. Comencement:July 2003
2.Trade effluent-25000 lt/d, ETP installed.
3.DG-62.5kva
4.GW-25700 lt/d
5.Earlier CTO vali upto 30.05.06.CTR applied on 07.08.06 vd. Id. No. 18986. Fresh CTR not applied
6. Fresh HWM not applied.
	Recommended for grant of consent to establish. Subsequently, inspection be conducted. Ask the unit to apply for fresh authorization under HWM Rules.
	Issue consent to establish. Subsequently, inspection be conducted. Ask the unit to apply for fresh authorization under HWM Rules.

	55
	30247
	10-06-2009
	EVEREST TRANSMISSION
	B-44, PHASE-I
	MAYAPURI INDUSTRIAL AREA
	Mfg. of Air/ Vacuum Blowers Spares- Dry Process
	Decision on 25.01.2010
Refer to DJB for ground water extraction.
	Consent refused vide refusal no. 1551on 
27.11.06 as unit has not submitted CA certificate from a Charted Accountant.
Applied for CTO on 21.12.06.
As per CTO application dated 21.12.09.
GW:500 Ltrs/ day
Trade Effluent-NIL
D.G. set of 160KVA. NMR submitted.
Letter issued to DJB for ground water extraction.
Reply received.
	Recommended for grant of consent to establish.
	Issue consent to establish.

	56
	30249
	10-06-2009
	PRINTWAYS
	PLOT NO 59-60, GALI NO 1B
	FRIENDS COLONY INDUSTRIAL AREA
	Offset printing Press
	17.06.09
Issue SCN u/s 21 of the Air Act and u/s 25/26 for not obtaining consent to establish and consent to operate. Call on 19.08.2009
	BUA: 330 sqm
Ground Water: nil
Water Consumption: 200 lit/day
Waste Water:
(a) Domestic Effluent: 150 lit/day
(b) Trade Effluent: nil
Year of Establishment: 2009
	Recommended for grant of consent to establish. Ask the unit to apply for authorization under HWM Rules.
	Issue consent to establish. Ask the unit to apply for authorization under HWM Rules.

	57
	30250
	10-06-2009
	RICOH PLAST
	D-140, PHASE-I
	OKHLA INDUSTRIAL AREA
	mfg of polythene films / sheets/ tubes/bag
	 
	1. Comencement:Feb 1988
2.Trade effluent-nil
3.DG-2 no.s of 160kva & 125kva
4.GW- nil
5.CTR applied on 01.06.07 vd id. No. 21615
	Recommended for grant of consent to establish with the condition that the unit will comply with the provisions of The Delhi Degradable Plastic Bag Act, 2000 envisaging the minimum thickness of plastic bag as 40 micron and size as 8" x 12". 
	Issue consent to establish with the condition that the unit will comply with the provisions of The Delhi Degradable Plastic Bag Act, 2000 envisaging the minimum thickness of plastic bag as 40 micron and size as 8" x 12". 

	58
	30253
	10-06-2009
	DEVKEE POLYMERS PVT. LTD.
	PLOT NO 340A/32, GALI NO 1A
	FRIENDS COLONY INDUSTRIAL AREA
	Roto Grovure Printing
	17.06.09
Issue reminder. Call on 19.08.2009.
07.10.09
Issue CTR, CTE and Authorization under HWM rules.
21.12.09/22.12.09
Earlier CMC decision dated 07.10.2009 may be reviewed. Ask the unit to submit stack monitoring report from approved laboratories of DPCC and clarification regarding the present status of installation of D.G. Set.
	BUA: 167 sqm
Ground Water: nil
Water Consumption: 300 lit/day
Waste Water:
(a) Domestic Effluent: 150 lit/day
(b) Trade Effluent: nil
Year of Establishment: 2000
Letter issued to the unit on 28.01.2010 in compliance of the decision of meeting dated 21.12.09/22.12.09. No reply received.

CTO issued on 31.03.04. Expired on 07.07.05.
Applied for CTR on 05.07.05.
Applied for CTE on 10.06.09.
Applied for CTR on 15.09.09.
	Issue SCN for refusal of consent.
	Issue SCN for refusal of consent for not replying letter dated 28.01.2010.

	59
	30258
	10-06-2009
	S.M.S. EXPORTS
	C-170, PHASE-I
	OKHLA INDUSTRIAL AREA
	 ready made garments
	 
	1. Comencement:1992
2.Trade effluent-150 lt/d, ETP shall be installed.
3.DG-nil
4.GW-nil
5.CTO not applied.
	Recommended for grant of consent to establish. Subsequently, inspection be conducted.
	Issue consent to establish. Subsequently, inspection be conducted.

	60
	30259
	10-06-2009
	MAXWELL INTERNATIONAL
	T-2/162, PHASE-I
	MANGOL PURI INDUSTRIAL AREA
	Injection moulding goods (PVC soles)
	 
	Using fresh raw material
	Recommended for grant of consent to establish.
	Issue consent to establish. Subsequently, inspection be conducted.

	61
	30260
	10-06-2009
	AJAY PLASTIC INDUSTRIES
	C-395, DSIDC
	NARELA INDUSTRIAL AREA
	Mfg of PVC graunles and plastic bags
	 
	CTO refused on 03.09.2004
CTO applied on 16.09.2004.
Using fresh raw material
	Recommended for grant of consent to establish with the condition that the unit will comply with the provisions of The Delhi Degradable Plastic Bag Act, 2000 envisaging the minimum thickness of plastic bag as 40 micron and size as 8" x 12". Subsequently, inspection be conducted along with sampling of plastic bags.
	Issue consent to establish with the condition that the unit will comply with the provisions of The Delhi Degradable Plastic Bag Act, 2000 envisaging the minimum thickness of plastic bag as 40 micron and size as 8" x 12". Subsequently, inspection be conducted along with sampling of plastic bags.

	62
	30261
	11-06-2009
	INDO EXPORT CORPORATION
	A-2/1, PHASE-I
	MAYAPURI INDUSTRIAL AREA
	Screen printing with washing
	16.03.09
Ask the unit to apply for CTE under orange category and file fresh adequacy report of EP from empanelled of DPCC.
11.05.09
Issue final reminder for full compliance of earlier CMC decision. Call on 26.08.09
	CTO & CTO-R issued valid upto 09.01.09.
Unit submitted its reply
applied for CTE and submitted fresh of adequacy report.
 Applied for authorization  under HWM rules on 11.06.09
Trade Eff: 4.5 KLD 
DG set: 1X 62.5 KVA
	Recommended for grant of consent to establish. Ask the unit to apply for fresh authorization under HWM Rules.
	Issue consent to establish. Ask the unit to apply for fresh authorization under HWM Rules.

	63
	30262
	11-06-2009
	MILLENNIUM IMPEX PVT. LTD.
	98, DSIDC SHEDS, PHASE-I
	OKHLA INDUSTRIAL AREA
	engineering works (repairing of pumps , valves)
	 
	1. Comencement:July 2009
2.Trade effluent-nil
3.DG-25kva
4.GW-nil as per application but shown as  100 lt/d in affidavit. 
5. CTO not applied.
	Recommended for grant of consent to establish.
	Issue consent to establish.

	64
	30263
	11-06-2009
	MAYUR PRINT HOUSE
	A-29/1
	NARAINA INDUSTRIAL AREA PH-I
	Offset printing with washing of plates 
	11.05.09
Issue final reminder for full compliance of earlier CMC decision with direction to seek permission for ground water extraction from DJB in view of new orders. Call on 26.08.09
	CTO under green category issued 
Cto under orange cateory issued on 21.05.05
Applied for CTO-R on 11.07.06
authorization  under HWM rules issued on 17.09.04.
DG set : 125 KVA 
Trade eff: 1 KLD
	Recommended for grant of consent to establish. Ask the unit to apply for fresh authorization under HWM Rules.
	Issue consent to establish. Ask the unit to apply for fresh authorization under HWM Rules.

	65
	30264
	11-06-2009
	MAYUR OVERSEAS
	D-93, PHASE-I
	OKHLA INDUSTRIAL AREA
	mfg of readymade garments
	 
	1. Comencement:July 2009
2.Trade effluent-500 lt/d, ETP shall be installed
3.DG-120kva
4.GW-nil
5.CTO applied on 14.07.09 vd. Id. No. 30708
	Recommended for grant of consent to establish.
	Issue consent to establish.

	66
	30265
	11-06-2009
	MAHESH KUMAR
	C-42/1
	LAWRENCE ROAD INDUSTRIAL AREA
	Mfg of PVC compound
	 
	Using fresh raw material.
	Recommended for grant of consent to establish.
	Issue consent to establish.

	67
	30272
	11-06-2009
	REETA ENTERPRISES
	PLOT NO 104, POCKET-N, SECTOR-5
	BAWANA INDUSTRIAL AREA
	Mfg of Plastic Products
	 
	BUA: 200 Sq mt
GW: Nil
Water Consumption: 200 Lt/  Day 
Waste Water:
(a) Dommestic effluent: 50 Lt/ Day 
(b) Trade Effluent:Nil
Year of  establishment:2009
	Recommended for grant of consent to establish.
	Issue consent to establish.

	68
	30274
	11-06-2009
	RAJINDER DAL MILL
	PLOT NO 37, SECTOR-5, POCKET-K, DSIDC
	BAWANA INDUSTRIAL AREA
	Dal Mill
	 
	BUA: 250 Sq mt
GW: Nil
Water Consumption: 250 Lt/  Day 
Waste Water:
(a) Dommestic effluent: 200 Lt/ Day 
(b) Trade Effluent:Nil
Year of  estblishment: 2009
	Recommended for grant of consent to establish. Subsequently, inspection be conducted.
	Issue consent to establish. Subsequently, inspection be conducted.

	69
	30288
	12-06-2009
	POLY PACK ENTERPRISES
	PLOT NO 27, DSIDC, SCHEME-I, PHASE-II
	OKHLA INDUSTRIAL AREA
	Mfg of plain printed poly bag
	 
	1. Comencement: 2008
2.Trade effluent-Nil
3.DG-62 Kva
4.GW-Nil as per application but shown as 80 lt/day in an affidavit
5. CTO not applied
	Recommended for grant of consent to establish with the condition that the unit will comply with the provisions of The Delhi Degradable Plastic Bag Act, 2000 envisaging the minimum thickness of plastic bag as 40 micron and size as 8" x 12". 
	Issue consent to establish with the condition that the unit will comply with the provisions of The Delhi Degradable Plastic Bag Act, 2000 envisaging the minimum thickness of plastic bag as 40 micron and size as 8" x 12". 

	70
	30290
	12-06-2009
	A.J INTERNATIONAL
	D-160/2, PHASE-I
	OKHLA INDUSTRIAL AREA
	mfg of readymade garmnets
	 
	1. Comencement:July 2009
2.Trade effluent-500 lt/d, ETP shall be installed.
3.DG-2 no.s of 52kva each.
4.GW-nil
5.CTO applied on 12.06.09 vd. Id. No. 30290.
	Recommended for grant of consent to establish.
	Issue consent to establish.

	71
	30294
	12-06-2009
	POONAM AUTO INDUSTRIES
	PLOT NO 62/1, RAMA ROAD
	NAJAFGARH ROAD INDUSTRIAL AREA
	Mfg. of PVC Plastic Product

(Injection moulding)
	 
	Year  of commencement:-  Sept,2009.
Plot Area:- 100 Sqm.
No trade effluent.
NO D.Gset.
	Recommended for grant of consent to establish.
	Issue consent to establish.

	72
	30295
	15-06-2009
	ROYAL BRIDES
	K-59, ROHTAK ROAD, DELHI
	UDYOG NAGAR INDUSTRIAL AREA
	Injection moulding.
	 
	Proposed unit. Injection mouldling with fresh granules.
Plot Area:- 170 Sqm.
No trade effluent.
NO D.Gset.
	Recommended for grant of consent to establish.
	Issue consent to establish.

	73
	30298
	15-06-2009
	SUNSHINE ELECTRONIC
	A-13
	WAZIRPUR INDUSTRIAL AREA
	Mfg of PVC wire and cables
	 
	Trade effluent-75  l/d
CTO granted and valid up to 28.02.2007
CTR applied on 09.04.2007.
Using fresh raw material
	Recommended for grant of consent to establish.
	Issue consent to establish.

	74
	30304
	15-06-2009
	PIONEER CONVERSIONS
	A-14/1, PHASE-1
	NARAINA INDUSTRIAL AREA PH-I
	Offset prinitng press
	04.06.08 
Ask the unit to apply for CTE under orange category as the unit generates waste from printing activity. consent application under green category becomes infructrous in view of aforesaid reason.
	Applicatiion for CTO under green category made infructous on 26.06.09
DG set: 25 KVA
Trade  eff:Nil
	Recommended for grant of consent to establish. Ask the unit to apply for authorization under HWM Rules.
	Issue consent to establish. Ask the unit to apply for authorization under HWM Rules.

	75
	30307
	15-06-2009
	O.K. INDUSTRIES
	B-73
	NARAINA INDUSTRIAL AREA PH-II
	Mfg. of aluminium kitchen ware (w/o plating)
	Decision on 13.11.09 
Ask the unit to file adequacy report and test report for the buffing activity from approved agency.
	Earlier CTO And CTO-R issued. Applied for CTO-R on 01.09.06 and 25.08.09.
Letter issued on 30.12.09.
Unit submitted its reply on 18.01.2010 stating that they have applied in GGSIPu for adequacy and test reports of ECS.
	Recommended for grant of consent to establish.
	Issue consent to establish. Ask the unit to submit fresh adequacy report and test report for the buffing activity from approved consultant/laboratory of DPCC.

	76
	30310
	15-06-2009
	REGAL PALACE
	B-3
	GTK ROAD INDUSTRIAL AREA
	Restaurant cum banquet hall
	 
	Trade effluent-3500 l/d
2 DGs -85 AND 125 KVA
CTO applied on 14.12.2005
CTO applied on 28.05.2009
	Recommended for grant of consent to establish.
	Issue consent to establish.

	77
	30333
	16-06-2009
	SOM PAN PRODUCTS PVT. LTD.
	B-23, PHASE-I
	MAYAPURI INDUSTRIAL AREA
	Mfg. & marketing of Gutkha & Pan Masala
	 
	Trade Effluent : Nil
Dg set: 2 X 380 KVA
Year of commencment: july 2009
	Recommended for grant of consent to establish.
	Issue consent to establish.

	78
	30337
	16-06-2009
	U.K.B. ELECTRONICS PVT. LTD.
	PLOT NO 7, FIE
	PATPARGANJ INDUSTRIAL AREA
	Mfg. of Copper Wire Drawing
	24.06.09
Issue SCN for refusal of of Consent. Call on 26.08.09.
09.09.09
Make the application Infructuous as the unit has changed the name of the unit and has applied a fresh.
	BUA: 450 sqm
Ground Water: nil 
Water Consumption: 2502 lit/day
Waste Water:
(a) Domestic Effluent: 50 lit/day
(b) Trade Effluent: nil
Year of Establishment: 2006.

CTE issued on 26.12.06. Expired on 25.12.07.
Applied for CTE on 16.06.09.
Applied for CTO on 19.06.09
	Recommended for grant of consent to establish. Ask the unit to apply for authorization under HWM Rules.
	Issue consent to establish. Ask the unit to apply for authorization under HWM Rules.

	79
	30338
	16-06-2009
	ACE PACKAGING
	Y-55, PHASE-II
	OKHLA INDUSTRIAL AREA
	Mfg .of polythene tubes with printing
	 
	1. Comencement: 1983
2.Trade effluent-Nil
3.DG-Nil
4.GW-Nil as per application but shown as 20 lt/day in an affidavit
5. Earlier CTO valid upto 06.01.06. Fresh CTR not applied.
	Recommended for grant of consent to establish without polythene bags. Ask the unit to apply for authorization under HWM Rules in view of printing activity.
	Issue consent to establish without polythene bags. Ask the unit to apply for authorization under HWM Rules in view of printing activity.

	80
	30339
	16-06-2009
	MOD PACK INDUSTRIES
	31, DSIDC, PHASE-I
	OKHLA INDUSTRIAL AREA
	Mfg. of plastic containers
	 
	1. Comencement: 1974
2.Trade effluent-nil
3.DG-nil
4.GW-Nil as per application but shown as 12 lt/day in an affidavit
5. Earlier CTO valid upto 06.01.06. Fresh CTR not applied.
	Recommended for grant of consent to establish.
	Issue consent to establish.

	81
	30348
	16-06-2009
	SHAMA INTERNATIONAL PVT. LTD.
	F-53, PHASE-I
	OKHLA INDUSTRIAL AREA
	mfg of readymade garments with washing
	 
	1. Comencement:2003
2.Trade effluent-5000 lt/d, ETP. shall be installed.
3.DG-125 kva
4.GW-nil
5. CTR applied on 12.03.08 vd. Id. No. 25163.
	Recommended for grant of consent to establish.
	Issue consent to establish.

	82
	30355
	16-06-2009
	SIPLA FRUIT PRODUCTS
	B-64A
	LAWRENCE ROAD INDUSTRIAL AREA
	MFG of achar and murabba
	 
	Trade effluent-3000 l/d
1 DGs 62 kva
CTO granted and valid up to 17.07.2005
CTR applied on 11.08.2008
	Recommended for grant of consent to establish.
	Issue consent to establish.

	83
	30357
	17-06-2009
	JIWAN LAL & CO.
	14-B, DLF
	NAJAFGARH ROAD INDUSTRIAL AREA
	Mfg. of general engineering products and light forgings.
	16.03.09
Ask the unit to apply for CTE and file an affidevit for installation of ECS and stack height / acoustic enclouser with the D.G.Set from approved laboratories of DPCC. Call on 29.04.09.
11.05.09
Issue final reminder for CTE and full compliance of earlier CMC decision. Call on 24.06.09
24.06.09
Ask the unit to file full compliancers within 01 month. Call oin 26.04.09
	Application of CTO dated 26.07.02 was made infructuous because the unit did not submitted it adequecy and stack monitoring report.
Applied for CTO under orange category on 26.06.09.
 Trade effluent:nil
D.G.Set : nil
	Recommended for grant of consent to establish.
	Inspection be conducted in view of the negative list of MPD-2021.

	84
	30359
	17-06-2009
	SANJAY AGGARWAL
	B-279, PHASE-I
	MANGOL PURI INDUSTRIAL AREA
	micro cellular sheet
	 
	CTO granted under green category and valid up to 07.07.2007
CTR under green refused on 06.01.2010
CTE under green refused on 09.07.2009
	Recommended for grant of consent to establish.
	Issue consent to establish.

	85
	30362
	17-06-2009
	ABHINAV OVERSEAS (A UNIT OF MARINO CABLES INDIA PVT. LTD.)
	60, SSI
	GTK ROAD INDUSTRIAL AREA
	mfg of wire and cables
	 
	Plot Area:600sq mt
Year of establishment-July, 2009
Trade effluent-NIL
DG set-NIL
	Recommended for grant of consent to establish.
	Issue consent to establish.

	86
	30363
	17-06-2009
	S.K. ENTERPRISES
	PLOT NO 280, POCKET-N, SECTOR-1 DSIDC
	BAWANA INDUSTRIAL AREA
	Mfg of Plastic Dana 
	 
	BUA: 100 Sq mt
GW: Nil
Water Consumption: 100 Lt/  Day 
Waste Water:
(a) Dommestic effluent: 50 Lt/ Day 
(b) Trade Effluent:Nil
Year of  estblishment: 2009
	Recommended for grant of consent to establish.
	Issue consent to establish.

	87
	30369
	18-06-2009
	DIMPLE CREATIONS PVT. LTD.
	C-64/5, PHASE-II
	OKHLA INDUSTRIAL AREA
	Mfg readymade garments
	 
	1. Comencement:Aug 2009
2.Trade effluent-2000 lt/d, ETP shall be installed.
3.DG-180kva
4.GW-nil
5. CTR granted on 14.12.05 and fresh CTR applied on 29.06.09.
	Recommended for grant of consent to establish.
	Issue consent to establish.

	88
	30376
	18-06-2009
	VEER SANITARY APPLIANCE PVT. LTD.
	B-10/3, GROUP
	WAZIRPUR INDUSTRIAL AREA
	Sheet metal bathroom accessories
	 
	One DG of 62.5 KVA
	Recommended for grant of consent to establish.
	Issue consent to establish.

	89
	30378
	18-06-2009
	BHATI ENTERPRISES
	D-149/1, FFC
	OKHLA INDUSTRIAL ESTATE
	Mfg. of plastic products
	 
	1. Comencement: Aug 2009
2.Trade effluent-Nil
3.DG-Nil
4.GW-Nil
5. CTO not applied.
	Recommended for grant of consent to establish.
	Issue consent to establish.

	90
	30381
	18-06-2009
	K & K INDUSTRIES
	C-64/3, PHASE-II
	OKHLA INDUSTRIAL AREA
	Mfg. of polybags with printing
	 
	1. Comencement: Aug 2009
2.Trade effluent-Nil
3.DG-Nil
4.GW-Nil
5. CTO applied on 13.07.09.
	Recommended for grant of consent to establish with the condition that the unit will comply with the provisions of The Delhi Degradable Plastic Bag Act, 2000 envisaging the minimum thickness of plastic bag as 40 micron and size as 8" x 12".  Ask the unit to apply for authorization under HWM Rules.
	Issue consent to establish with the condition that the unit will comply with the provisions of The Delhi Degradable Plastic Bag Act, 2000 envisaging the minimum thickness of plastic bag as 40 micron and size as 8" x 12".  Ask the unit to apply for authorization under HWM Rules.

	91
	30383
	18-06-2009
	MULTI PLEXUS (INDIA)
	C-440, DSIDC
	NARELA INDUSTRIAL AREA
	offset printing
	 
	One DG of 82.5 Kva
CTO applied on 27.05.2008
	Recommended for grant of consent to establish. Ask the unit to apply for authorization under HWM Rules.
	Issue consent to establish. Ask the unit to apply for authorization under HWM Rules.

	92
	30392
	19-06-2009
	BAKSHI GLAZING PRESS
	A-30
	NARAINA INDUSTRIAL AREA PH-II
	offset printing
	 
	Earlier CTO issued valid upto 22.07.09. 
Existing since 2002.
No trade effluent.
No D.g Set.
Also applied for authorisation under HWM on 19.06.09
	Recommended for grant of consent to establish. Ask the unit to apply for fresh authorization under HWM Rules.
	Issue consent to establish. Ask the unit to apply for fresh authorization under HWM Rules.

	93
	30395
	19-06-2009
	S.J.S. OVERSEAS
	F-130, PHASE-II
	MAYAPURI INDUSTRIAL AREA
	Making of name plate & sticker
	 
	Application for CTO-R Under green category made infructous on 14.01.09
Trade Eff: Nil
DG Set : Nil
	Recommended for grant of consent to establish. Ask the unit to apply for authorization under HWM Rules.
	Issue consent to establish. Ask the unit to apply for authorization under HWM Rules.

	94
	30411
	22-06-2009
	J.P. PRINTERS
	PLOT NO 109, POCKET-E, SECTOR-4, DSIDC
	BAWANA INDUSTRIAL AREA
	Offset Printing
	 
	BUA:160 Sq. mts
GW: 160 Lt/Day
Water Consumption: 160 Lt/Day
Waste Water:
(a) Dommestic effluent: 130 Lt/Day
(b) Trade Effluent: Nil
Year of  estblishment: 2009
HWM applied on 22.06.2009
	Recommended for grant of consent to establish. Ask the unit to apply for fresh authorization under HWM Rules.
	Issue consent to establish. Ask the unit to apply for fresh authorization under HWM Rules.

	95
	30436
	23-06-2009
	MAHASHAKTI ELECTROPLATING WORKS
	E-4, PHASE-III, DSIDC
	BADLI INDUSTRIAL ESTATE
	Job work of electroplating
	 
	Trade effluent-500 l/d
Applied for HW on 23.06.2009
	Recommended for grant of consent to establish. Subsequently, inspection be conducted. Ask the unit to apply for fresh authorization under HWM Rules.
	Issue consent to establish. Subsequently, inspection be conducted. Ask the unit to apply for fresh authorization under HWM Rules.

	96
	30455
	24-06-2009
	VARDHMAN RE-ROLLING
	SHED NO 75, DSIDC
	WAZIRPUR INDUSTRIAL AREA
	Cold re-rolling of S.S sheets
	 
	CTO applied on 06.07.2009
	Recommended for grant of consent to establish.
	Issue consent to establish.

	97
	30456
	24-06-2009
	UJJWAL INDUSTRIES
	SHED NO 75, DSIDC
	WAZIRPUR INDUSTRIAL AREA
	Annealimg of SS sheet
	 
	Plot Area:83.61 sq mt
Year of establishment-Aug, 2009
Trade effluent-NIL
DG set-NIL
	Recommended for grant of consent to establish.
	Issue consent to establish.

	98
	30474
	25-06-2009
	RAMPS INDUSTRIES (INDIA)
	BT-1/83, PHASE-I
	MANGOL PURI INDUSTRIAL AREA
	mfg of sanitary goods with electroplating
	 
	Trade effluent-500 l/d
One DG of 180 KVA.
	Recommended for grant of consent to establish. Subsequently, inspection be conducted. Ask the unit to apply for authorization under HWM Rules.
	Issue consent to establish. Subsequently, inspection be conducted. Ask the unit to apply for authorization under HWM Rules.

	99
	30475
	26-06-2009
	FABULINE
	B-300, PHASE-I
	OKHLA INDUSTRIAL AREA
	mfg of ready made garments & Home furnishing items with washing
	 
	1. Comencement: 2000
2.Trade effluent-5000lt/day. ETP installed
3.DG-2 no.s of 62.5 kva and 20 kva
4.GW-5500lt/day
5. CTO not applied.
	Recommended for grant of consent to establish. Subsequently, inspection be conducted.
	Issue consent to establish. Subsequently, inspection be conducted.

	100
	30481
	26-06-2009
	ARCHIT CABLES
	PLOT NO 3, SECTOR NO -5, POCKET NO E, DSIDC
	BAWANA INDUSTRIAL AREA
	Welding Cables & Hose Pipes
	 
	BUA:140 Sq. mts
GW: nil
Water Consumption: 200lit/day
Waste Water:
(a) Dommestic effluent: 100 lit/day
(b) Trade Effluent: Nil
Year of  estblishment: 2009
	Recommended for grant of consent to establish.
	Issue consent to establish.

	101
	30493
	29-06-2009
	AMBAJEE RANG UDYOG
	S-23, PHASE-I
	BADLI INDUSTRIAL ESTATE
	Cement wall putty(powder)
	 
	Plot Area:200 sq mt
Year of establishment-July, 2009
Trade effluent-NIL
DG set-NIL
	Recommended for grant of consent to establish.
	Issue consent to establish.

	102
	30502
	29-06-2009
	INDRAPRASTHA AUTOMOBILES PVT LTD.
	16
	NAJAFGARH ROAD INDUSTRIAL AREA
	sales and services of vehicles (repair, maintenance & washing)
	 
	year of commencement- July,2008
Trade effluent- 1.8 KLD.
No D.G Set.
Plot Area- 1300 Sqm.
Also applied for authorisation under HWM on 29.06.09
	Recommended for grant of consent to establish. Subsequently, inspection be conducted. Ask the unit to apply for fresh authorization under HWM Rules.
	Issue consent to establish. Subsequently, inspection be conducted. Ask the unit to apply for fresh authorization under HWM Rules.

	103
	30507
	30-06-2009
	RADNIK EXPORTS
	B-24/1, PHASE-II
	OKHLA INDUSTRIAL AREA
	mfg of ready made garments without washing
	18.02.09 (Green)
Ask the unit to apply for CTE. (due to introduction of boilers)
	1. Comencement:1975
2.Trade effluent-Nil
3.DG- 125 Kva
4.Boilers- Three Diesel fired boiler
5. Earlier CTO under Green was valid upto 07.07.07  CTR under Green was canceled as unit has introduced boilers.
6. CTO under Orange not applied.
	Recommended for grant of consent to establish.
	Issue consent to establish.

	104
	30512
	30-06-2009
	VISHAL INDUSTRIES
	A-64, GROUP
	WAZIRPUR INDUSTRIAL AREA
	Stainless steel cold re-rolling
	 
	CTO garnted and valid up to 31.07.2005
CTR granted and valid up to 04.09.2008
CTR applied on 13.10.2008
	Recommended for grant of consent to establish.
	Issue consent to establish.

	105
	30521
	30-06-2009
	JAYANT CABLE INDUSTRIES
	PLOT NO 1/536-A/3, GALI NO. 4
	FRIENDS COLONY INDUSTRIAL AREA
	Mfg. of Wires and cables
	16.02.09
Issue SCN for Closure.
	BUA: 125 sq yd
Ground Water: nil
Water Consumption: 100 lit/day
Waste Water:
(a) Domestic Effluent: 20 lit/day
(b) Trade Effluent: nil
Year of Establishment: 2009
	Inspection be conducted.
	Case be considered after implementation of decision of Scrutinizing Committee.

	106
	30524
	30-06-2009
	RACHNA MOTORS PVT. LTD. (UNIT-II)
	PLOT NO A-223, DSIDC
	NARELA INDUSTRIAL AREA
	Repairing and servicing of vehicles
	 
	Trade effluent-5000 l/d
	Recommended for grant of consent to establish. Subsequently, inspection be conducted. Ask the unit to apply for authorization under HWM Rules.
	Issue consent to establish. Subsequently, inspection be conducted. Ask the unit to apply for authorization under HWM Rules.

	107
	30531
	01-07-2009
	VALENTINE BANQUPLEX
	4-A
	NAJAFGARH ROAD INDUSTRIAL AREA
	Catering service(Banquet hall)
	Decision on 20.03.09.
Ask the unit to apply for consent to establish, renewal of consent, authorization under HWM Rules and submit affidavit for source of water supply, for installation of hood and suction arrangement and noise monitoring report of the D.G.Set from approved laboratories of DPCC. Also ask the unit to install CFL, rain water harvesting system, solar water harvesting and plantation of tree. Call on 29.04.2009.
Decisin on 24.06.09
Issue final reminder.
	Earlier CTO issued.Applied for CTO-R on 25.07.05 and on 01.07.09.
Final reminder issued on 17.07.09. Unit submitted its reply along with photographs
Unit has applied for CTE on 01.07.09. applied for Authorisation under HWM rules.
	Recommended for grant of consent to establish.
	Issue consent to establish.

	108
	30533
	01-07-2009
	PARAG METAL UDYOG
	C-36/2
	WAZIRPUR INDUSTRIAL AREA
	Mfg of aluminium plates and circle
	 
	Trade effluent-800 l/d
One DG of 125 KVA.
CTO applied on 30.06.2004
CTO applied on 18.07.2007
	Meeting was convened in the chamber of Chairman and it was informed by the DDA officials that they are not competent to make amendment in the MPD-2021 unless it is approved by Ministry of Urban & Development. However, it was assured to take up the matter once complete agenda is received from the DPCC.
	Inspection be conducted.

	109
	30540
	02-07-2009
	UTTAM TOYOTA
	95, F.L.E
	PATPARGANJ INDUSTRIAL AREA
	Sales and Service of New motor vehicles
	 
	BUA:350 sqm 
Ground Water: 2000 lit/day
Water Consumption: 2000 lit/day
Waste Water:
(a) Domestic Effluent: 250 lit/day
(b) Trade Effluent: 1500 lit/day
Year of Establishment: 2005

Applied for CTE on 02.07.09.
Applied for CTO on 08.06.05.
Applied for CTO on 15.07.09 
	Recommended for grant of consent to establish. Ask the unit to apply for authorization under HWM Rules.
	Issue consent to establish. Ask the unit to apply for authorization under HWM Rules.

	110
	30547
	02-07-2009
	DEUTSCHE MOTOREN  (PVT) LTD.
	27B, SHIVAJI MARG
	NAJAFGARH ROAD INDUSTRIAL AREA
	Service,repair and maintenance of cars.
	 
	year of commencement- Aug,2009.
Trade effluent- 5 KLD.
No D.G Set.
Plot Area- 8500 Sqm.
	Recommended for grant of consent to establish. Subsequently, inspection be conducted. Ask the unit to apply for authorization under HWM Rules.
	Issue consent to establish. Subsequently, inspection be conducted. Ask the unit to apply for authorization under HWM Rules.

	111
	30548
	02-07-2009
	BERLIA ELECTRICALS POLYMERS PVT. LTD.
	PLOT NO 59
	SSI INDUSTRIAL AREA
	mfg of PVC insulated wires and cables, PVC conduit pipes and fitting w/o trade effluents
	 
	One DG of 125 KVA.
CTO granted and valid up to 25.07.2005
CTR applied on 17.11.2008
	Recommended for grant of consent to establish.
	Issue consent to establish.

	112
	30569
	03-07-2009
	GANESH ENTRPRISES
	PLOT NO 12, POCKET-O, SECTOR-5, DSIDC
	BAWANA INDUSTRIAL AREA
	Mfg and Printing of Industrial Poly  Bags 100T/year.
	 
	BUA: 150 Sq mt
GW:  200 Lt/Day
Water Consumption: 200 Lt/Day
Waste Water:
(a) Dommestic effluent: 70 Lt/Day 
(b) Trade Effluent: Nil
Year of  estblishment:2009
	Recommended for grant of consent to establish with the condition that the unit will comply with the provisions of The Delhi Degradable Plastic Bag Act, 2000 envisaging the minimum thickness of plastic bag as 40 micron and size as 8" x 12". Ask the unit to apply for authorization under HWM Rules.
	Issue consent to establish with the condition that the unit will comply with the provisions of The Delhi Degradable Plastic Bag Act, 2000 envisaging the minimum thickness of plastic bag as 40 micron and size as 8" x 12".  Ask the unit to apply for authorization under HWM Rules.

	113
	30571
	03-07-2009
	RAJGARHIA ENTERPRISES
	B-49, GROUP
	WAZIRPUR INDUSTRIAL AREA
	Mfg of utensils with buffing
	 
	Plot Area:334 sq mt
Year of establishment-Oct, 2009 (for buffiong)
Trade effluent-NIL
DG set-NIL
	Recommended for grant of consent to establish. Subsequently, inspection be conducted.
	Issue consent to establish. Subsequently, inspection be conducted.

	114
	30572
	03-07-2009
	SAGAR RATNA HOTELS PVT. LTD. (SAGAR RATNA)
	B-1, A-11
	MOHAN CO-OPERATIVE INDUSTRIAL AREA
	restaurant.
	 
	1. Comencement:Jun 2004
2.Trade effluent-2500 Lt/day, ETP proposed
3.DG- 125 Kva
4. GW-3500 Lt/day
5.Earlier CTO valid upto 28.03.07. Fresh CTR not applied.
6. MCD and police license not submitted.
	Recommended for grant of consent to establish. Subsequently, inspection be conducted.
	Issue consent to establish. Subsequently, inspection be conducted.

	115
	30578
	03-07-2009
	RAM NIWAS GUPTA
	C-58/2
	WAZIRPUR INDUSTRIAL AREA
	Buffing on SS utensils
	 
	Plot Area:1200 sq ft
Year of establishment-Aug, 2009
Trade effluent-NIL
DG set-NIL
	Recommended for grant of consent to establish. Subsequently, inspection be conducted.
	Issue consent to establish. Subsequently, inspection be conducted.

	116
	30595
	07-07-2009
	BAWA MASALA CO. PVT. LTD.
	G-20, 21
	LAWRENCE ROAD INDUSTRIAL AREA
	mfg of spices
	 
	CTO granted under and valid up to 30.08.2004
CTR applied on 28.09.2007
One DG 250 KVA
	Recommended for grant of consent to establish.
	Issue consent to establish.

	117
	30605
	07-07-2009
	MAHA GAURI STEEL
	A-14, GROUP
	WAZIRPUR INDUSTRIAL AREA
	S.S utensils with buffing
	 
	CTE granted under green category and valid up to 15.09.2009
	Ask the unit to submit Bank Guarantee of Rs. 50,000 under Air Act valid for one year in view of hiding the buffing activity while seeking consent under Green category. If unit submits the Bank Guarantee, consent to establish will be issued. 
	Case be considered after implementation of decision of Scrutinizing Committee.

	118
	30623
	09-07-2009
	RAI & SONS PVT LTD.
	63
	NAJAFGARH ROAD INDUSTRIAL AREA
	Repairing of D.G Sets (without washing and casting
	Decision on 19.05.09
Ask the unit to apply for CTE under orange category along with authorisation undr HWM rulesin view of generation of hazardous waste in the form of used oil and application under green category becomes infructuous.
	Earlier CTO issued under green category valid upto 25.07.07. Application of CTO-R dated 26.07.07 made infructrous.
Existing since 1981.
No trade effluent.
No D.G Set.
Applied  for authorization under HWM on 01.07.09
	Recommended for grant of consent to establish. Ask the unit to apply for authorization under HWM Rules.
	Issue consent to establish. Ask the unit to apply for fresh authorization under HWM Rules.

	119
	30626
	09-07-2009
	DIAMOND PRODUCT LTD.
	A-9, PHASE-II
	MAYAPURI INDUSTRIAL AREA
	EVA footwear
	22.05.09
Ask the unit to apply for Consent to Establish.
	CTO & CTO-R issued valid upto 23.02.09.
Applied for CTO-R on 19.02.09
DG Set : 2 X 320 KVA & 1 X 380 KVA   
Trade Eff: nil
	Recommended for grant of consent to establish.
	Issue consent to establish.

	120
	30642
	10-07-2009
	ARKAY ENTERPRISES
	PLOT NO. D-89, PHASE-I
	OKHLA INDUSTRIAL AREA
	mfg of ready made garments with washing
	                   16.03.2009
Ask the unit to apply for Consent to Establish, fresh consent to operate application and file fresh adequacy report from empanelled consultants of DPCC along with permisson from CGWA.  Call on 29.04.2009.
                    11.05.2009
Issue final reminder for full compliance of earlier CMC decision. Call on 24.06.2009
                     24.06.2009
Issue SCN for refusal of consent. Call on 26.08.2009
	Reply submitted that they have already applied for CTE on 10.07.2009 and CTO(R) on 15.09.2008 along with fresh adequacy report. DJB permission not submitted.
1. Comencement:1993
2.Trade effluent-4000lt/day AR of sept 2008 submitted
3.DG- 125 Kva
4.Boilers- Three Diesel fired boiler
5. Earlier CTO was valid upto 18.07.05. CTR applied on 26.09.05 CTR applied on 15.09.08
	Recommended for grant of consent to establish.
	Issue consent to establish.

	121
	30647
	10-07-2009
	S.S. PLASTICS
	PLOT NO 340-A/9, GALI NO 1-A
	FRIENDS COLONY INDUSTRIAL AREA
	Mfg. of PVC compound
	 
	BUA: 100 sq yd
Ground Water: nil
Water Consumption: 150 lit/day
Waste Water:
(a) Domestic Effluent: 20 lit/day
(b) Trade Effluent: nil
Year of Establishment: 2009
	Recommended for grant of consent to establish.
	Issue consent to establish.

	122
	30648
	10-07-2009
	BHAWANI PRINTERS
	PLOT NO 125, FIE
	PATPARGANJ INDUSTRIAL AREA
	Offset Printing Press (without Trade Effluent)
	 
	BUA: 220 sq yd
Ground Water: nil
Water Consumption: 100 lit/day
Waste Water:
(a) Domestic Effluent: 50 lit/day
(b) Trade Effluent: nil
Year of Establishment: 2009
HWM applied on10.07.2009
	Recommended for grant of consent to establish. Ask the unit to apply for fresh authorization under HWM Rules.
	Issue consent to establish. Ask the unit to apply for fresh authorization under HWM Rules.

	123
	30662
	10-07-2009
	J.R. PLASTIC & BOX MAKER
	PLOT NO 63, POCKET-H, SECTOR-5, DSIDC
	BAWANA INDUSTRIAL AREA
	Mfg of Plastic Containers
	 
	BUA: 100 Sq mt
GW:  Nil
Water Consumption: 100 Lt/Day
Waste Water:
(a) Dommestic effluent: 50 Lt/Day 
(b) Trade Effluent: Nil
Year of  estblishment:2009
	Recommended for grant of consent to establish.
	Issue consent to establish.

	124
	30663
	10-07-2009
	HINDUSTAN LABORATORIES
	NE-230, SECTOR-3, DSIDC
	BAWANA INDUSTRIAL AREA
	Mfg of Plastic Moulded Containers & Plastic Blow Moulded Containers
	 
	BUA: 140 Sq mt
GW: 150 Lt/Day
Water Consumption: 150 Lt/Day
Waste Water:
(a) Dommestic effluent: 30 Lt/Day 
(b) Trade Effluent: Nil
Year of  estblishment:

Applied for CTE on  10.07.09
Applied for CTO on  20.01.10
	Recommended for grant of consent to establish.
	Issue consent to establish.

	125
	30673
	13-07-2009
	SHANKAR PRINTERS
	B-73, FFC
	OKHLA INDUSTRIAL ESTATE
	offset printing
	 
	1. Comencement: Aug 2009
2.Trade effluent-Nil
3.DG-Nil
4.GW-Nil
5. CTO not applied.
	Recommended for grant of consent to establish. Ask the unit to apply for authorization under HWM Rules.
	Issue consent to establish. Ask the unit to apply for authorization under HWM Rules.

	126
	30675
	13-07-2009
	SHIV GANESH POLYMERS (INDIA) PVT.  LTD.
	J-18
	UDYOG NAGAR INDUSTRIAL AREA
	Mfg. of plastic moulded products (Injection moulding Machine ) w/o trade efffluent 
	 
	Applied for CTO on 21.01.2010

Trade Eff: nil
DG Set Nil
	Recommended for grant of consent to establish.
	Issue consent to establish.

	127
	30676
	13-07-2009
	MAYA EXPORTS CORPORATION
	B-127, PHASE-I
	OKHLA INDUSTRIAL AREA
	mfg of readymade garments
	           30.01.2009
SIT to inspect and report. Call on 18.03.2009
            22.05.2009
Issue SCN for closure u/s 33(A) of the Water Act
	SCN issued on 29.06.09
Reply received
1.Comencement-1994
2.Trade effluent-20,000 lt/day, ETP installed
3.DG- no.s of 75 kva, 200 kva 
4.GW-Nil
5. Earlier CTO valid upto 25.07.05. CTO(R) applied on 08.09.08
	Ask the unit to submit Bank Guarantee of Rs. 50,000 each under Air Act and Water Act valid for one year. 
	Case be considered after implementation of decision of Scrutinizing Committee.

	128
	30684
	13-07-2009
	PARVEEN KUMAR KAKKAR
	PLOT NO 11, BLOCK-GI
	GTK ROAD INDUSTRIAL AREA
	Plastic products
	 
	Using fresh raw material
	Recommended for grant of consent to establish.
	Issue consent to establish.

	129
	30691
	13-07-2009
	SAURABH STEEL WARES
	B-55, GROUP
	WAZIRPUR INDUSTRIAL AREA
	Mfg of circle cutting ,pressing and buffing
	 
	CTR granted under green categpry and valid up to 26.09.2017 w.r.t. M/s Chandra Inds.
CTE granted under green category and valid up to 19.11.2009 w.r.t. M/s Chandra Inds
Inspection done on 17.03.2009
	Ask the unit to submit Bank Guarantee of Rs. 50,000 under Air Act valid for one year. Unit be directed not to operate its unit without installation of ECS and submit adequacy report of ECS from empanelled consultant of DPCC. 
	Case be considered after implementation of decision of Scrutinizing Committee.

	130
	30693
	13-07-2009
	DELHI ENTERPRISES (INDIA)
	PLOT NO 124, POCKET-M, SECTOR-1, DSIDC
	BAWANA INDUSTRIAL AREA
	Mfg of Agricultural Pipe
	 
	BUA: 100 Sq mt
GW: 100 Lt/Day
Water Consumption: 100 Lt/Day
Waste Water:
(a) Dommestic effluent: 75 Lt/Day 
(b) Trade Effluent: Nil
Year of  estblishment:2008
	File be put up administratively.
	Issue consent to establish.

	131
	30696
	13-07-2009
	RISHIKESH MISHRA
	B-52, GROUP
	WAZIRPUR INDUSTRIAL AREA
	Mfg of hand moulded goods
	 
	Using fresh raw material
	Recommended for grant of consent to establish.
	Issue consent to establish.

	132
	30697
	13-07-2009
	NAVEEN SINGHAL
	B-52, GROUP
	WAZIRPUR INDUSTRIAL AREA
	job work of injection moulded goods(lid cover)
	 
	Using fresh raw material.
	Recommended for grant of consent to establish.
	Issue consent to establish.

	133
	30704
	14-07-2009
	DINESH INDUSTRIES
	B-55 (IST FLOOR)
	WAZIRPUR INDUSTRIAL AREA
	Job work S.S utensils with buffing
	 
	Plot Area:150 sq mt
Year of establishment-Aug, 2009
Trade effluent-NIL
DG set-NIL
	Recommended for grant of consent to establish. Subsequently, inspection be conducted.
	Issue consent to establish. Subsequently, inspection be conducted.

	134
	30706
	14-07-2009
	DURGA STEEL INDUSTRIES
	B-22/2
	WAZIRPUR INDUSTRIAL AREA
	Mfg of statinless steel utensils w/o buffing
	 
	Inspection doen on 03.09.2009
One DG of 62.5 KVA
CTO applied on 05.09.2005
	Recommended for grant of consent to establish without buffing.
	Issue consent to establish without buffing.

	135
	30720
	15-07-2009
	HANNU MARKETING (PVT.) LTD.
	H-27
	UDYOG NAGAR INDUSTRIAL AREA
	Mfg. of  Advertisement materials,(Signboard,Banners,Catalogs, tags) & Printing (Large Foormate printing)
	 
	Year of commencement:- September,2009.
Plot Area;- 1276 Sqm
No trade effluent.
D.G Set of 62.5 KVA proposed.
Unit has also appied for authorisation under HWM rules on 15.07.09
	Recommended for grant of consent to establish. Ask the unit to apply for authorization under HWM Rules.
	Issue consent to establish. Ask the unit to apply for authorization under HWM Rules.

	136
	30721
	15-07-2009
	FLEXIBLE PRINTING & PACKAGING INDUSTRIES
	PLOT NO 59, SECTOR-4, POCKET-H, DSIDC
	BAWANA INDUSTRIAL AREA
	Mfg of Plastic & PVC Granules
	 
	BUA:250 Sq. mts
GW: 600 Lt/Day
Water Consumption: 700 Lt/Day
Waste Water:
(a) Dommestic effluent: 50 Lt/Day
(b) Trade Effluent: Nil
Year of  estblishment: 2009
	Recommended for grant of consent to establish.
	Issue consent to establish.

	137
	30731
	16-07-2009
	BLUE CROSS FARMAIDS COMPANY
	B-32/1
	WAZIRPUR INDUSTRIAL AREA
	mfg of plastic moulded goods (poultry farm egg trays etc.) w/o trade effluent
	 
	Using fresh raw material
	Recommended for grant of consent to establish.
	Issue consent to establish.

	138
	30737
	16-07-2009
	A.S. ENTERPRISES
	531, PLOT NO 10, GALI NO 4
	FRIENDS COLONY INDUSTRIAL AREA
	Mfg. of wire and cables
	 
	BUA: 154 sqm
Ground Water: nil
Water Consumption: 100 lit/day
Waste Water:
(a) Domestic Effluent: 50 lit/day
(b) Trade Effluent: nil
Year of Establishment: 2009

Applied for CTO on 31.07.09.
Applied for CTE on 16.07.09
	Recommended for grant of consent to establish.
	Issue consent to establish.

	139
	30739
	16-07-2009
	FLEXOLITE CABLES
	N-262, POCKET-O, SECTOR-1, DSIDC
	BAWANA INDUSTRIAL AREA
	Mfg of PVC Wires, Cables 
	 
	BUA:250 Sq. mts
GW: Nil
Water Consumption: 350 Lt/Day
Waste Water:
(a) Dommestic effluent: 250 Lt Per day/ approx
(b) Trade Effluent: Nil
Year of  estblishment:2009
	Recommended for grant of consent to establish.
	Issue consent to establish.

	140
	30741
	16-07-2009
	BISHAN DASS STEEL TUBES
	PLOT NO B-32
	JHILMIL INDUSTRIAL AREA
	Fabricating of Stainless Steel tubes and pipes (With pickling)
	 
	BUA: 800 sqm
Ground Water: nil
Water Consumption:1200 lit/day
Waste Water:
(a) Domestic Effluent: 100 lit/day
(b) Trade Effluent: 1000 lit/day
Year of Establishment: 1990

CTR issued on 14.12.05. Expired on 09.01.08.
Applied for CTR on 22.08.08.
Applied for CTE on 16.07.09
	Case be kept in abeyance in view of the fact that final outcome of the committee constituted for the S.S. Pickling is still awaited.
	Decision deferred till final outcome of the committee.

	141
	30742
	16-07-2009
	SONI EMBROIDERY
	PLOT NO 169, SECTOR-1, POCKET-B, DSIDC
	BAWANA INDUSTRIAL AREA
	Mfg of Injection Moulded Goods 
	 
	BUA:100 Sq. mts
GW: 155 Lt/Day
Water Consumption: 155 Lt/Day
Waste Water:
(a) Dommestic effluent: 85 Lt Per day/ approx
(b) Trade Effluent: Nil
Year of  estblishment: 2009
	Recommended for grant of consent to establish.
	Issue consent to establish.

	142
	30744
	16-07-2009
	ULTIPORE FILTERATION & SEPARATION PVT. LTD.
	D-26, SECTOR-4, DSIDC
	BAWANA INDUSTRIAL AREA
	Blending & Packing of Grease and Lube Oils
	 
	BUA: 250 Sq. mts
GW: 250 Lt/Day
Water Consumption: 250 Lt/Day
Waste Water:
(a) Dommestic effluent: 200 Lt Per day/ approx
(b) Trade Effluent: Nil
Year of  estblishment: 2010
	Inspection be conducted.
	Inspection be conducted in view of the negative list of MPD-2021.

	143
	30754
	17-07-2009
	T.C. PLASTIC INDUSTRIES
	PLOT NO 88, POCKET-G, SECTOR-2, DSIDC
	BAWANA INDUSTRIAL AREA
	Mfg of Plastic Moulded Goods (Textile Bobin etc) w/o Trade Effluent
	 
	BUA: 60 Sq. mts
GW: Nil
Water Consumption: 500 Lt/Day
Waste Water:
(a) Dommestic effluent: 100 Lt Per day/ approx
(b) Trade Effluent: Nil
Year of  estblishment:2009
	Recommended for grant of consent to establish.
	Issue consent to establish.

	144
	30755
	17-07-2009
	GAUTAM AUTO PVT. LTD.
	B-91
	GTK ROAD INDUSTRIAL AREA
	Service staition of 3-Wheelers
	 
	Trade efluent-3000l/d
	Recommended for grant of consent to establish. Subsequently, inspection be conducted. Ask the unit to apply for authorization under HWM Rules.
	Issue consent to establish. Subsequently, inspection be conducted. Ask the unit to apply for authorization under HWM Rules.

	145
	30756
	17-07-2009
	RISHABH MOTORS PVT LTD.
	B-225, PHASE-I
	OKHLA INDUSTRIAL AREA
	service station cum showroom of cars
	 
	1. Comencement: Ater getting NOC
2.Trade effluent-3000 lt/day, ETP installed
3.DG-Nil
4.GW-Nil
5. CTO applied on 31.03.10
	Recommended for grant of consent to establish. Ask the unit to apply for authorization under HWM Rules.
	Issue consent to establish. Ask the unit to apply for authorization under HWM Rules.

	146
	30758
	17-07-2009
	ASIAN LABORATORIES
	87-88, DSIDC SHED, SCHEME-I, PHASE-II
	OKHLA INDUSTRIAL AREA
	blending of powder with water & formulating construction chemicals
	 
	1. Comencement: sept 2009
2.Trade effluent-Nil
3.DG-25 Kva
4.GW-nil
5. CTO not applied.
	Inspection be conducted.
	Inspection be conducted for ascertaining exactly activity. 

	147
	30769
	20-07-2009
	NEW BAPU GOODS TRANSPORT COMPANY
	A-53
	JHILMIL INDUSTRIAL AREA
	Copper wire Drawing from 16 SWG to 36 SWG
	 
	BUA: 100 sq yd
Ground Water: nil
Water Consumption: 200 lit/day
Waste Water:
(a) Domestic Effluent: 100 lit/day
(b) Trade Effluent: nil
Year of Establishment: proposed, 2010

CTO issued on 19.05.03. Expired on 24.04.06.
Applied for CTR on 26.06.06.
Applied for CTE on 20.07.09
	Recommended for grant of consent to establish. Ask the unit to apply for authorization under HWM Rules.
	Issue consent to establish. Ask the unit to apply for authorization under HWM Rules.

	148
	30778
	20-07-2009
	BAJAJ PRINTING & PACKAGING
	GI/10
	GTK ROAD INDUSTRIAL AREA
	Packaging containers/ tin containers w/o printing
	 
	Plot Area:334.41 sq mt
Year of establishment-978
Trade effluent-NIL
DG set-NIL
	Recommended for grant of consent to establish.
	Issue consent to establish without printing.

	149
	30785
	20-07-2009
	MOON LIGHT TRADING
	C-17/2
	WAZIRPUR INDUSTRIAL AREA
	Pickling of Stainless Steel Sheet 
	 
	Trade efluent-2500l/d
CTO applied on 18.07.2007
	Case be keppt in abeyance in view of the fact that final outcome of the committee constituted for the S.S. Pickling is still awaited.
	Decision deferred till final outcome of the committee.

	150
	30790
	21-07-2009
	G T B PLAST (INDIA)
	D-122, PHASE-II
	MAYAPURI INDUSTRIAL AREA
	Plastic moulded items (Auto parts)
	 
	Applied for CTE on 15.01.2010.
DG set : nil
Trade eff: nil
GW: approx. 200 ltr/ day.
	Recommended for grant of consent to establish.
	Issue consent to establish.

	151
	30792
	21-07-2009
	NAVKAR INDUSTRIES
	B-31/1, GROUP
	WAZIRPUR INDUSTRIAL AREA
	Mfg of S.S utensils with buffing
	 
	CTE granted under green category and valid up to 12.04.2010.
	Recommended for grant of consent to establish. Subsequently, inspection be conducted.
	Issue consent to establish. Subsequently, inspection be conducted.

	152
	30793
	21-07-2009
	ASPEE DYE-CHEM INDUSTRIES
	PLOT NO 30, POCKET-K, SECTOR-3, DSIDC
	BAWANA INDUSTRIAL AREA
	Re-Packing of Gambier Extracts (Katha)
	 
	BUA: 150 Sq. mts
GW: Nil
Water Consumption: 120 Lt/Day
Waste Water:
(a) Dommestic effluent: 70 Lt/day
(b) Trade Effluent: Nil
Year of  estblishment: 2009

Applied for CTE on  21.07.09
Applied for CTO on  30.07.09
	Recommended for grant of consent to establish.
	Inspection be conducted w.r.t. activity.

	153
	30797
	21-07-2009
	M.J. ENGINEERING WORKS (P) LTD.
	B-132, PHASE-I
	OKHLA INDUSTRIAL AREA
	galvanizing of MS  structure
	               30.01.2009
Ask the unit to apply for Consent to Establish and SIT to inspect and report. Call on 18.03.2009
                15.06.2009
Issue SCN for closure based on the SIT report. Call on 12.08.2009
	SCN for closure was issued on 02.07.09.  Reply received.

Earlier CTO valid upto 08.07.05, CTR applied on 02.05.08
	Ask the unit to submit Bank Guarantee of Rupees Fifty Thousand each under Air Act, Water Act and HWM Rules valid for one year. 
	Case be considered after implementation of decision of Scrutinizing Committee.

	154
	30798
	21-07-2009
	SANDEEP PLASTIC INDUSTRIES
	PLOT NO 6, POCKET-E, SECTOR-4, DSIDC
	BAWANA INDUSTRIAL AREA
	Mfg of Plastic Goods
	 
	BUA:250 Sq. mts
GW: 100 Lt/Day
Water Consumption: 100 Lt/Day
Waste Water:
(a) Dommestic effluent: 75 Lt/Day
(b) Trade Effluent: Nil
Year of  estblishment: 2009

Applied for CTE on  21.07.09
Applied for CTO on  28.01.10
	Recommended for grant of consent to establish.
	Issue consent to establish.

	155
	30799
	21-07-2009
	NIRMAL PLASTIC
	A-53
	NARAINA INDUSTRIAL AREA PH-I
	Mfg. of PVC footwear
	 
	Earlier CTO, CTO-R and CTOR issued valiid upto 29.08.09.
Applied for CTO-R on 31.07.09.
Existing since 1977.
No D.G Set.
No Trade effluent.
	Recommended for grant of consent to establish.
	Issue consent to establish.

	156
	30802
	22-07-2009
	GOEL GRINDING MILLS
	B-58
	LAWRENCE ROAD INDUSTRIAL AREA
	mfg of spices grinding
	 
	Plot Area:737 sq yards
Year of establishment-Aug, 2009
Trade effluent-NIL
DG set-NIL
	Recommended for grant of consent to establish.
	Issue consent to establish.

	157
	30814
	22-07-2009
	PRIYA ENTERPRISES
	PLOT NO 135, SECTOR-2, POCKET-N, DSIDC
	BAWANA INDUSTRIAL AREA
	Mfg of Electrical Goods / Appliances
	 
	BUA: 100 Sq. mts
GW: Nil
Water Consumption: 200 Lt/Day
Waste Water:
(a) Dommestic effluent: 150 Lt/Day
(b) Trade Effluent: Nil
Year of  estblishment:Proposed
	Recommended for grant of consent to establish with the condition to send the e-waste to authorized recycler. Subsequently, inspection be conducted.
	Issue consent to establish with the condition to send the e-waste to authorized recycler. Subsequently, inspection be conducted to know the phosphating activity.

	158
	30817
	22-07-2009
	SPARTON SALES CORPORATION
	27, PHASE-III
	OKHLA INDUSTRIAL ESTATE
	mfg of toy & games, parts of electrical and electronic appliances gadgets
	 
	1. Comencement: 1979
2.Trade effluent-nil
3..DG-2 no.s of 140 kva eah
4.GW-1000 lt/day
5. Earlier CTR valid upto 08.06.06. CTR applied on 08.11.06. Fresh CTR not applied.
	Recommended for grant of consent to establish with the condition to send the e-waste to authorized recycler. Subsequently, inspection be conducted.
	Issue consent to establish with the condition to send the e-waste to authorized recycler. Subsequently, inspection be conducted.

	159
	30819
	22-07-2009
	UNIVERSAL PACKAIDS
	27, PHASE-III
	OKHLA INDUSTRIAL ESTATE
	mfg of parts of electrical & electronic appliances & PVC products
	 
	1. Comencement: 1960
2.Trade effluent-nil
3..DG-nl
4.GW-1000 lt/day
5. Earlier CTR valid upto 04.06.06. CTR applied on 09.11.06. Fresh CTR not applied.
	Recommended for grant of consent to establish with the condition to send the e-waste to authorized recycler. Subsequently, inspection be conducted.
	Issue consent to establish with the condition to send the e-waste to authorized recycler. Subsequently, inspection be conducted.

	160
	30820
	22-07-2009
	BABU LAL RAJENDER KUMAR
	252, PHASE-III
	OKHLA INDUSTRIAL ESTATE
	mfg of parts of electrical & electronic appliances
	 
	1. Comencement: 1959
2.Trade effluent-nil
3..DG-140 Kva
4.GW-1000 lt/day
5. Earlier CTR valid upto 08.06.06. CTR applied on 08.11.06. Fresh CTR not applied.
	Recommended for grant of consent to establish with the condition to send the e-waste to authorized recycler. Subsequently, inspection be conducted.
	Issue consent to establish with the condition to send the e-waste to authorized recycler. Subsequently, inspection be conducted.

	161
	30821
	22-07-2009
	R.S.N. INDUSTRIES
	252, PHSE-III
	OKHLA INDUSTRIAL ESTATE
	mfg of dies, moulds, injection molding of mixer- juicer, refrigerator, washing machine, Air conditioner, energy meters
	 
	1. Comencement: 1975
2.Trade effluent-nil
3..DG-nil
4.GW-1000 lt/day
5. Earlier CTR valid upto 08.06.06. Fresh CTR not applied.
	Recommended for grant of consent to establish without trade effluent discharge. Subsequently, inspection be conducted.
	Issue consent to establish without trade effluent discharge. Subsequently, inspection be conducted to know  the powder coating activity.

	162
	30822
	22-07-2009
	MITSUMI ELECTRONICS PVT LTD.
	252, OHASE-III
	OKHLA INDUSTRIAL ESTATE
	mfg of dies, moulds, injection molding of mixer- juicer, referigerator, washing machine, Air conditioner, energy meters
	 
	1. Comencement: 1987
2.Trade effluent-nil
3..DG-nil
4.GW-2000 lt/day
5. Earlier CTR valid upto 04.06.06. CTR applied on 09.11.06. Fresh CTR not applied
	Recommended for grant of consent to establish without trade effluent discharge.
	Issue consent to establish without trade effluent discharge.

	163
	30823
	22-07-2009
	MITSUMI INDIA PRIVATE LIMITED
	27, PHASE-III
	OKHLA INDUSTRIAL ESTATE
	mfg of dies, moulds, injection moulding of polymers
	 
	1. Comencement: 1996
2.Trade effluent-nil
3..DG-125 Kva
4.GW-1000 lt/day
5. Earlier CTO applied on 09.11.06, Fresh CTO not applied.
	Recommended for grant of consent to establish without trade effluent discharge.
	Issue consent to establish without trade effluent discharge.

	164
	30828
	22-07-2009
	MAISCAR ENGINEERS
	PLOT NO 256, POCKET-J, SECTOR-1, DSIDC
	BAWANA INDUSTRIAL AREA
	Mfg of Injection Moulded Goods (Juiscer Spare Parts)
	 
	BUA: 150 Sq. mts
GW: Nil
Water Consumption: 200 Lt/Day
Waste Water:
(a) Dommestic effluent: 75 Lt/Day
(b) Trade Effluent: Nil
Year of  estblishment: 2009
	Recommended for grant of consent to establish.
	Issue consent to establish.

	165
	30829
	22-07-2009
	A.F. TEXTILES
	PLOT NO 208, POCKET-E, SECTOR-2, DSIDC
	BAWANA INDUSTRIAL AREA
	Mfg of Injection Moulded Goods 
	 
	BUA: 150 Sq. mts
GW: Nil
Water Consumption: 145 Lt/Day
Waste Water:
(a) Dommestic effluent: 75 Lt/Day
(b) Trade Effluent: Nil
Year of  estblishment: 2009
	Recommended for grant of consent to establish.
	Issue consent to establish.

	166
	30833
	23-07-2009
	KHANNA AUTOMOBILES
	C-124 A, PHASE-II
	MAYAPURI INDUSTRIAL AREA
	Work shop of motor cycles with washing
	 
	Earlier CTO issued valid upto 24.11.07.
Applied for CTO-R on 03.03.08
Plot area:- 250 Sqm.
Trade effluent- 2.5 KLD.
No D.G Set.
	Recommended for grant of consent to establish. Ask the unit to apply for authorization under HWM Rules.
	Issue consent to establish. Ask the unit to apply for authorization under HWM Rules.

	167
	30835
	23-07-2009
	TULI OFFSET PRINTERS PVT. LTD.
	A-16, PHASE-II
	NARAINA INDUSTRIAL AREA PH-I
	Printing on papers
	05.03.09
As the unit has applied for Consent to Establish under orange category and the application under green category becomes infructous in view of hazardous waste generating activity being carried out.
	Application under green category made infructous on 06.03.09.
Unit applied for HWM rules on  10.11.06


DG Set : Nil         
Trade Eff: 0.02 KLD
	Recommended for grant of consent to establish. Ask the unit to apply for authorization under HWM Rules.
	Issue consent to establish. Ask the unit to apply for authorization under HWM Rules.

	168
	30842
	23-07-2009
	SHIV SHAKTI ENTERPRISES
	77
	SSI INDUSTRIAL AREA
	Hot re-rolling
	 
	CTR refused on 30.07.2007
CTR applied on 28.08.2006
	Recommended for grant of consent to establish. Subsequently, inspection be conducted.
	Issue consent to establish. Subsequently, inspection be conducted.

	169
	30852
	24-07-2009
	PUBLIC PRINTING (DELHI) SERVICE
	C-80, PHASE-I
	OKHLA INDUSTRIAL AREA
	printing press
	 
	1. Comencement:1978
2.Trade effluent-500 lt/day, ETP Proposed
3.DG-80 kva
4.GW-Nil as per CTE application but shown as 2500 lt/day in affidavit as corporation or ground water
5. Earlier CTO valid upto 19.06.08. CTR applied on 18.06.08.
	Recommended for grant of consent to establish. Ask the unit to apply for authorization under HWM Rules.
	Issue consent to establish. Ask the unit to apply for authorization under HWM Rules.

	170
	30863
	24-07-2009
	DOUBLE ESS MOULDERS
	PLOT NO 60, POCKET-P, SECTOR-5, DSIDC
	BAWANA INDUSTRIAL AREA
	PVC/Plastic Products 
	                   23.03.2010 
Recommended for grant of consent to operate and cosnent to establish.
	BUA: 85 sqm
Ground Water: nil
Water Consumption: 150 lit/day
Waste Water:
(a) Domestic Effluent: 120 lit/day
(b) Trade Effluent: nil
Year of Establishment: 2009

Applied for CTE on  24.07.09
Applied for CTO on  23.02.10
	Implement the earlier CMC's decision dated 23.03.2010.
	Implement the earlier CMC's decision dated 23.03.2010.

	171
	30871
	24-07-2009
	HANSA AGENCIES PVT. LTD.
	B-124, PHASE-I
	OKHLA INDUSTRIAL AREA
	mfg of garments
	 
	1. Comencement:Proposed
2.Trade effluent-400 lt/day
3.DG-2 no.s of 125 kva and 82.5 kva
4.GW-Nil as per CTE application but shown as 1400 lt/day in affidavit as MCD/ ground water.
5. CTO applied on 24.07.09
	Recommended for grant of consent to establish.
	Issue consent to establish.

	172
	30876
	27-07-2009
	NARESH CHAND & CO.
	I-2076, DSIDC
	NARELA INDUSTRIAL AREA
	Mfg of PVC compounf and goods
	 
	Using fresh raw material
	Recommended for grant of consent to establish.
	Issue consent to establish.

	173
	30885
	27-07-2009
	PRINCE PRINT PROCESS
	PLOT NO 60Y, BLOCK 'A'
	GTK ROAD INDUSTRIAL AREA
	Offset printing
	 
	Plot Area:336.92sq mt
Year of establishment-Sep, 2009
Trade effluent-NIL
DG set-NIL
	Recommended for grant of consent to establish. Ask the unit to apply for authorization under HWM Rules.
	Issue consent to establish. Ask the unit to apply for authorization under HWM Rules.

	174
	30886
	27-07-2009
	NAULAKHA CHEMICAL INDUSTRIES
	A-10, PHASE-II
	MAYAPURI INDUSTRIAL AREA
	Mfg. of washing soap.
	 
	Earlier CTO issued valid upto 01.08.06. Applied for CTO on 05.07.06 and 18.06.09.
Existing since 1975.
G.W 2.9 KLD.
No trade effluent.
No D.G Set.
	Recommended for grant of consent to establish.
	Issue consent to establish.

	175
	30897
	28-07-2009
	BEE KAY WORKS
	F-110, PHASE-II
	MAYAPURI INDUSTRIAL AREA
	Dry cleaning and washing.
	Decision on 03.06.09
Issue fresh SCN u/s 31 (A) of Air Act & u/s 33(A) of water Act for closure.
	SCN for closure issued on 10.07.09 from PGRC.Unit has applied for CTE.
Year of commencement:- Sep,2009.
Trade effluent 400 LPD.
No D.g Set.
Plot Area:-91 Sqm.
	Confirm closure directions.
	Inspection be conducted and file be put up administratively.

	176
	30902
	28-07-2009
	GALAXY AUTOMOBILES
	8
	TILAK NAGAR INDUSTRIAL AREA
	washing and cleaning of vehicles
	Decision on 16.03.2009
Ask the unit to apply for Consent to Establish, to file permission from Central Ground Water Authority for extracting the ground water and submit fresh adequacy report of ETP from any of the empanelled consultants of DPCC. Call on 29.04.2009.
Decision on 11.05.09.
Issue final reminder of earlier CMC decision with directtion to seek permission for ground water extraction from DJB in view of  new orders.
Decission on 24.06.09
Issue SCN for refusal of consent. Call on 26.08.09
	Earlier CTO issued valid upto 08.01.07. Applied for CTO-R on 23.10.07 .
SCN issued on 21.07.09.
Trade effluent- 5 KLD.
G.W- 6  KLD.
D.G Set of 62.5 KVA installed.
Unit has applied for ground water permmission in DJB on 20.06.09.
Applied in GGSIPU for fresh adequacy report of ETP.
Also applied for Authorisation under HWM on 17.02.2010
	Recommended for grant of consent to establish.
	Issue consent to establish.

	177
	30912
	28-07-2009
	GENERAL EQUIPMENT COMPANY
	H-1260, DSIDC
	NARELA INDUSTRIAL AREA
	mfg of PVC/Rubber cables and hoses w/o use of scrap
	 
	CTO granted and valid up to 18.07.2008
CTR (green) infructuous on 03.03.2010.
Using fresh raw material.
	Recommended for grant of consent to establish.
	Issue consent to establish.

	178
	30924
	29-07-2009
	S R CABLES
	PLOT NO. 421-B, GALI NO. 6
	FRIENDS COLONY INDUSTRIAL AREA
	Mfg. of PVC insulated wires and cables
	17.06.09
Ask the unit to file full compliance by 30.06.2009. Issue letter without waiting for minutes. Call on 19.08.2009
	BUA: 110 sqm
Ground Water: nil
Water Consumption: 120 lit/day
Waste Water:
(a) Domestic Effluent: 50 lit/dat
(b) Trade Effluent: nil
Year of Establishment: 2009
	Inspection be conducted.
	Case be considered after implementation of decision of Scrutinizing Committee.

	179
	30928
	29-07-2009
	PERFECT ENGG. WORKS
	A-23, PHASE-III, DSIDC
	BADLI INDUSTRIAL ESTATE
	mfg of nuts and bolts and job work of engg.
	 
	Trade effluent-500l/d
Applied for HW on 29.07.2009
	Recommended for grant of consent to establish. Subsequently, inspection be conducted. Ask the unit to apply for fresh authorization under HWM Rules.
	Issue consent to establish. Subsequently, inspection be conducted. Ask the unit to apply for fresh authorization under HWM Rules.

	180
	30929
	29-07-2009
	OMEX CABLE INDUSTRIES
	1/536, H-5, GALI NO 4A
	FRIENDS COLONY INDUSTRIAL AREA
	Mfg. of PVC wires and cables
	            16.03.2010
Issue consent to establish and consent application dated 29.07.2009 be made  infructuous.
	BUA: 125 sqm
Ground Water: nil
Water Consumption: 200 lit/day
Waste Water:
(a) Domestic Effluent: 160 lit/day
(b) Trade Effluent: nil
Year of Establishment: 2010.

Applied for CTE on 29.07.09.
Applied for CTE on 28.01.2010
	Implement the earlier CMC's decision dated 16.03.2010
	Implement the earlier CMC's decision dated 16.03.2010

	181
	30930
	29-07-2009
	DEVAJI INDUSTRIES
	1/536, D-5, GALI NO 5
	FRIENDS COLONY INDUSTRIAL AREA
	Mfg. of wires and cables and Assemblimg of Cords
	17.06.09
Ask the unit to apply for Consent to Establish by 30.06.2009, failing which action be initiated. Letter be issued without waiting for minutes. Call on 19.08.2009
	BUA:55 sq m
Ground Water: nil
Water Consumption: 150 lit/day
Waste Water:
(a) Domestic Effluent: 50 lit/day
(b) Trade Effluent: nil
Year of Establishment: 2009
	Recommended for grant of consent to establish.
	Issue consent to establish.

	182
	30931
	29-07-2009
	ARORA WATER COOLING PLANT
	F-3, PHASE-III
	BADLI INDUSTRIAL ESTATE
	mfg of plastic dana and plastic moulded goods
	 
	Using fresh raw material.
	Recommended for grant of consent to establish.
	Issue consent to establish.

	183
	30934
	29-07-2009
	VINDYA FORMS (P) LTD.
	A-103/2
	WAZIRPUR INDUSTRIAL AREA
	conversion of paper to computer paper
	 
	Trade effluent-0.01 KLD
	Recommended for grant of consent to establish. Ask the unit to apply for authorization under HWM Rules.
	Issue consent to establish. Ask the unit to apply for authorization under HWM Rules.

	184
	30954
	30-07-2009
	JASMINE GRAPHICS
	A-42, GATE NO 4, 3RD FLOOR, ROOF TOP, PHASE-II
	MAYAPURI INDUSTRIAL AREA
	Dyeing of suit salwar & dupatta.
	 
	Earlier CTO issued valid upto 01.08.07.
Applied for CTO-R on 20.02.08.
Existing since 2004.
trade effluent:- 2 KLD.
No D.G Set.
	Recommended for grant of consent to establish. Ask the unit to apply for authorization under HWM Rules.
	Issue consent to establish. Ask the unit to apply for authorization under HWM Rules.

	185
	30963
	30-07-2009
	PASHUPATI PRINTERS PVT. LTD.
	PLOT NO 1/429/16, GALI NO 1
	FRIENDS COLONY INDUSTRIAL AREA
	Printing and book binding
	17.06.09
Ask the unit to file full compliance by 30.06.2009. Issue letter without waiting for minutes. Call on 19.08.2009
	BUA: 400 sq yd
Ground Water: nil
Water Consumption: 50 lit/day
Waste Water:
(a) Domestic Effluent: 20 lit/day
(b) Trade Effluent: nil
Year of Establishment: 2004.

CTR issued on 08.02.07. Expired on 18.01.11
Applied for CTE on 30.07.09
	Recommended for grant of consent to establish. Ask the unit to apply for authorization under HWM Rules.
	Issue consent to establish. Ask the unit to apply for authorization under HWM Rules.

	186
	30965
	30-07-2009
	AVON AUTO INDUSTRIES
	PLOT NO 1/424/25-A, GALI NO 1-B
	FRIENDS COLONY INDUSTRIAL AREA
	Mfg. Of Auto parts
	17.06.09
Ask the unit to file full compliance by 30.06.2009. Issue letter without waiting for minutes. Call on 19.08.2009
	BUA: 175 sq yd
Ground Water: nil
Water Consumption: 100 lit/day
Waste Water:
(a) Domestic Effluent: 20 lit/day
(b) Trade Effluent: nil
Year of Establishment: 208
	Recommended for grant of consent to establish.
	Issue consent to establish.

	187
	30983
	31-07-2009
	PARAGON CABLE DELHI
	D-31
	SMA INDUSTRIAL AREA
	Mfg of electric wires and cables
	 
	Plot Area:1000 sq mt
Year of establishment-Sep, 2009
Trade effluent-NIL
DG set-NIL
	Recommended for grant of consent to establish.
	Issue consent to establish.

	188
	30988
	03-08-2009
	GITA ETNERPRISES
	24
	NAJAFGARH ROAD INDUSTRIAL AREA
	Mfg. of plastic products
	Decision on 04.03.09.
Ask the unit to apply for CTE.
	Earlier CTO And CTO-R issued valid upto  29.01.07. 
NO Trade effluent.
D.G Set of 63 KVA installed.
Existing since 1976
	Recommended for grant of consent to establish.
	Issue consent to establish.

	189
	30989
	03-08-2009
	BHARAT SMALTING CO.
	SHEDS NO 202, DSIDC, PHASE-I
	OKHLA INDUSTRIAL AREA
	zip sliders including plating
	              16.03.2009
Ask the unit to apply for Consent to Establilsh, file permission from Central Ground Water Authority for extracting the ground water, fresh adequacy report of ETP from empanelled consultants of DPCC and affidavit for installation of ECS. Call on 29.04.2009.
                  11.05.2009
Issue final reminder for full compliance of earlier CMC decision with direction to seek permission for ground water extraction from DJB in view of new orders. Call on 24.06.2009
                 24.06.2009
Issue SCN for refusal of consent. Call on 26.08.2009
	Unit has not submiited DJB permission.
1. Comencement:1990
2.Trade effluent-3000 lt/day, ETP Proposed
3.DG-nil
4.GW-nil
5. Earlier CTO valid upto 12.07.07. CTR applied on 27.08.07
	Recommended for grant of consent to establish. Ask the unit to apply for authorization under HWM Rules.
	Issue consent to establish. Ask the unit to apply for authorization under HWM Rules.

	190
	30997
	03-08-2009
	RAINBOW COLOR GRAPHICS
	A-44
	NARAINA INDUSTRIAL AREA PH-II
	proofing layout designing, plaate making and processing.
	 
	Earlier CTE, CTO & CTO-R isued under green category for the activity of computer designing page layout.
Now applied for CTE for the activity of proofing layout designing, plaate making and processing.Also applied for Authorisation under HWM Rules.
Trade effluent- 500 LPD.
No D.G set.
	Recommended for grant of consent to establish. Subsequently, inspection be conducted. Ask the unit to apply for authorization under HWM Rules.
	Issue consent to establish. Subsequently, inspection be conducted. Ask the unit to apply for authorization under HWM Rules.

	191
	31006
	04-08-2009
	SANGHVI CABLE INDUSTRIES
	458/466, GALI NO 8
	FRIENDS COLONY INDUSTRIAL AREA
	Mfg. of PVC coated wire and cables
	17.06.09
Ask the unit to apply for Consent to Establish. Call on 19.08.2009
	BUA: 147.15 sqm
Ground Water: nil
Water Consumption: 180 lit/day
Waste Water: 
(a) Domestic Effluent: 100 lit/day
(b) Trade Effluent: nil
Year of Establishment: 1991.

CTO issued on 18.11.02. Expired on 08.11.05.
Appled for CTR on 26.07.07
Applied for CTE on 29.07.09
	Recommended for grant of consent to establish.
	Issue consent to establish.

	192
	31009
	04-08-2009
	ANIL MITTAL
	458/466/1, GALI NO 8
	FRIENDS COLONY INDUSTRIAL AREA
	Mfg. of PVC compound
	17.06.09
Confirm closure directions. Call on 19.08.2009
	BUA: 100 sqm
Ground Water: nil
Water Consumption: 200 lit/day
Waste Water:
(a) Domestic Effluent: 150 lit/day
(b) Trade Effluent: nil
Year of Establishment: 2008.

Applied for CTE on 04.08.09.
Applied for CTO on 04.08.09
	Ask the unit to submit Bank Guarantee of Rs. 1 Lakh each under Air Act valid for one year. Also ask the unit to submit report of channelization with photographs and submit stack monitoring report to substantiate that the particulate matter and HCL mist are within the limit of 150 mg/nm3 and 35 mg/nm3 respectively, from approved laboratory of DPCC. 
	Case be considered after implementation of decision of Scrutinizing Committee.

	193
	31011
	04-08-2009
	RICHA & COMPANY
	18/1 & 2/18, WHS
	KIRTI NAGAR INDUSTRIAL AREA
	Mfg of readymade garment with washing.
	Decision on 04.08.09 for M/s Richa & Company , 18/1, WHS Kirti nagar industrial area.
Ask the unit to file Consent to Establish under orange category and application under Green category becomes infructuous as washing activity and ETP of 20 KLD observed during inspection.
Decision on 27.11.09 for M/s Richa & Company , 18/1, WHS Kirti nagar industrial area.
Inform Enquiry Counter for implementing the earlier decision of CMC for making the application infructuous.
Decision on 22.06.09 for M/s Richa & Company , 18/1, WHS Kirti nagar industrial area.
Consent to Establish and renewal of consent applications refused as washing activity is being carried out. ASk the unit to apply for Consent to Establish under Orange Category.
Decision on 25.01.2010
Ask the unit to submit Bank Guarantee of Rs. 1 Lakh each under all the three acts valid for one year.
	M/s Richa & Company , 18/1, WHS Kirti nagar industrial area has obtained CTO under green category on 05.02.04 valid upto 25.07.07. Applications dated 10.08.07 & 02.02.09 for CTO-R & CTE (green) were made infructuous.(C-366, & C-334)  

M/s Richa & Company , 2/18, WHS Kirti nagar industrial area has obtained CTO under green category on 05.02.04 valid upto 25.07.07. Applications dated 10.08.07 & 02.02.09 for CTO-R & CTE (green) were refused vide refusal no 1820 & 1821.
  
Unit has applied for CTE on 04.08.09.

As per CTO application dated 29.12.09.
GW: Not mentioned
Trade Effluent: 9 KLD, ETP installed. Adequacy submitted.
D.G. set: 180KVA & 125 KVA.
NMR submitted.
Unit has applied for Hazardous waste under HWM Rules on 10.02.2010.

Case is under consideration in scruitnizing meeting dated 30.03.2010.
	Recommended for grant of consent to establish.
	Implement the earlier CMC's decision dated 27.04.2010.

	194
	31012
	04-08-2009
	VIJAY ADHASIVE INDUSTRIES
	6, GALI NO 4
	FRIENDS COLONY INDUSTRIAL AREA
	Mfg. of paper Gum
	 
	BUA: 190 sqyd
Ground Water: nil
Water Consumption: 100 lit/day
Waste Water:
(a) Domestic Effluent: 50 lit/day
(b) Trade Effluent: nil
Year of Establishment: Existing.

CTR issued on 19.06.06. Expired on 23.07.08.
Applied for CTR on 09.09.08.
Applied for CTE on 04.08.09
	Inspection be conducted.
	Inspection be conducted in view of the negative list of MPD-2021.

	195
	31018
	04-08-2009
	NALANDA CABLE INDUSTRIES
	PLOT NO. 421A, GALI NO. 5
	FRIENDS COLONY INDUSTRIAL AREA
	Mfg. of PVC wire and cables
	17.06.09
Ask the unit to apply for Consent to Establish. Call on 19.08.2009
	BUA: 57 sqm 
Ground Water: nil
Water Consumption: 300 lit/day
Waste Water: 
(a) Domestic Effluent: 200 lit/day
(b) Trade Effluent: nil
Year of Establishment:1977.

CTO issued on 20.01.03. Expired on 25.07.05.
Applied for CTR on 31.12.07.
Applied for CTE on 04.08.09
	Recommended for grant of consent to establish.
	Issue consent to establish.

	196
	31019
	04-08-2009
	SHREE VARDHMAN CABLES
	340/45, FIRST FLOOR, GALI NO. 1B
	FRIENDS COLONY INDUSTRIAL AREA
	Mfg. of PVC wire and cables
	 
	BUA: 84 sqm
Ground Water: 150 lit/day
Water Consumption: 150 lit/day
Waste Water:
(a) Domestic Effluent: 50 lit/day
(b) Trade Effluent: nil
Year of Establishment: 2009
	Recommended for grant of consent to establish.
	Issue consent to establish.

	197
	31020
	04-08-2009
	MOHD. ASLAM
	PLOT NO. 19/310 (PART OF PLOT NO-33), JULLENDER BODY
	SHAHZADA BAGH INDUSTRIAL AREA
	Mfg. of PVC/Plastic Products
	 
	BUA: 45 sq yd
Ground Water: nil 
Water Consumption: 100 lit/day
Waste Water:
(a) Domestic Effluent: 80 lit/day
(b) Trade Effluent: nil
Year of Establishment: 2008
	Recommended for grant of consent to establish.
	Issue consent to establish.

	198
	31021
	04-08-2009
	V K BOX INDUSTRIES
	B-99
	GTK ROAD INDUSTRIAL AREA
	mfg of card borad boxes and printing press and lamination w/o plate washing
	 
	Applied under HW on 04.08.2009
	Recommended for grant of consent to establish. Ask the unit to apply for fresh authorization under HWM Rules.
	Issue consent to establish. Ask the unit to apply for fresh authorization under HWM Rules.

	199
	31022
	04-08-2009
	V. K BOX INDUSTRIES
	B-98,
	GTK ROAD INDUSTRIAL AREA
	mfg of card borad boxes and printing press and lamination w/o plate washing
	 
	One DG of 300 KVA
Applied under HW on 04.08.2009
	Recommended for grant of consent to establish. Ask the unit to apply for fresh authorization under HWM Rules.
	Issue consent to establish. Ask the unit to apply for fresh authorization under HWM Rules.

	200
	31030
	06-08-2009
	PRECISION ELECTRONICS INSTRUMENTS CO.
	H-45
	UDYOG NAGAR INDUSTRIAL AREA
	Electronic weighing machine & fare meters.
	Decision on 16.03.09
 Ask the unit to apply for consent to establish, file permission from Central Ground Water Authority for extracting the ground water and  noise monitoring report of D.G.Set from approved laboratories of DPCC. Call on 29.04.2009.
	Earlier CTO issued valid upto 21.02.08. Applied for CTO-R on 10.03.08.
Existing since April,2004.
G.W- 2 KLD.
No trade effluent.
D.G Set of 82.5 KVA installed.
	Recommended for grant of consent to establish.
	Issue consent to establish with the condition to send the e-waste to authorized recycler.

	201
	31031
	06-08-2009
	S.J PACKAGING PVT. LTD.
	A-22, PHASE-I
	MAYAPURI INDUSTRIAL AREA
	Mfg. of printed cardboard boxes & printing 
	22.06.09
Ask the unit to apply for Consent to Establish under Orange category.
	CTO-R issued under green category refused on 13.07.09 as activity falls under orange category.

AS per CTE application
Trade Effluent: Nil
DG Set : 125 KVA 

Unit has aslo applied for Authorization under HWm Rules on 06.08.09.  
	Recommended for grant of consent to establish. Ask the unit to apply for fresh authorization under HWM Rules.
	Issue consent to establish. Ask the unit to apply for fresh authorization under HWM Rules.

	202
	31037
	07-08-2009
	SAFETY SYNDICATES
	340/45, 2ND FLOOR, G. NO. 1B
	FRIENDS COLONY INDUSTRIAL AREA
	Mfg. of Snow goggles
	17.06.09
Confirm closure directions.
	BUA: 84 sqm
Ground Water: nil
Water Consumption: 100 lit/day
Waste Water:
(a) Domestic Effluent: 50 lit/day
(b) Trade Effluent: nil
Year of Establishment: 2008.

Applied for CTE on 07.08.09
Closure direction issued on 10.07.09
	Seek compliance report from concerned authorities. 
	Seek compliance report from concerned authorities. 

	203
	31038
	07-08-2009
	SHREE HANUMAN METAL INDUSTRIES
	PLOT NO 340/7, G. NO. 1B
	FRIENDS COLONY INDUSTRIAL AREA
	Mfg. of Bathroom/ door fittings w/o electroplating
	17.06.09
Confirm closure directions. Call on 19.08.2009
	BUA: 167 sqm
Ground Water: nil
Water Consumption: 200 lit/day
Waste Water:
(a) Domestic Effluent: 150 lit/day
(b) Trade Effluent: nil
Year of Establishment: 2009.

Applied for CTE on 07.08.09
Closure direction issued on 24.07.09
	Seek compliance report from concerned authorities. 
	Seek compliance report from concerned authorities. 

	204
	31039
	07-08-2009
	R K STEEL
	B-70/2
	WAZIRPUR INDUSTRIAL AREA
	Cold rerolling of S.S sheets
	 
	Plot Area:100 sq mt
Year of establishment-1996
Trade effluent-NIL
DG set-NIL
	Recommended for grant of consent to establish.
	Issue consent to establish.

	205
	31055
	10-08-2009
	SPIRITED AUTO CARS (I) LTD.
	A-34
	MOHAN CO-OPERATIVE INDUSTRIAL AREA
	repairing, servicing & washing of four wheelers.
	 
	1. Comencement:Sept 2009
2.Trade effluent-40, 000 lt/day, ETP Proposed 
3.DG-125 Kva
4.GW-50, 000 Lt/day
5.CTO applied on 26.02.10
6. HWM applied
	Recommended for grant of consent to establish. Ask the unit to apply for authorization unde HWM Rules.
	Issue consent to establish. Ask the unit to apply for authorization unde HWM Rules.

	206
	31063
	10-08-2009
	ANSUN MULTITECH (INDIA) LTD.
	B-141, PHASE-I
	OKHLA INDUSTRIAL AREA
	mfg of zinc Die casting , Alloy Casting Assembly & surface Finishing products.
	 
	1. Comencement:sept 2009
2.Trade effluent-8000 lt/day. ETP installed
3.DG-125 Kva
4.GW-Nil as per CTE application but shown as 16000 lt/day in affidavit.
5.CTO not applied
	Meeting was convened in the chamber of Chairman and it was informed by the DDA officials that they are not competent to make amendment in the MPD-2021 unless it is approved by Ministry of Urban & Development. However, it was assured to take up the matter once complete agenda is received from the DPCC.
	Decision deferred till clarification received from DDA.

	207
	31069
	11-08-2009
	B K PLASTICS
	PLOT NO. C-111/1 BACK SITE, PHASE-I
	NARAINA INDUSTRIAL AREA PH-I
	Mfg. of Plastic moulded goods with with injection moulding machine w/o trade effluent.
	 
	Trade effluent : Nil
Dg set : Nil
year of commencement:- Sept, 2009
	Recommended for grant of consent to establish.
	Issue consent to establish.

	208
	31070
	11-08-2009
	MITHAN WIRES
	PLOT NO. B-81, SECTOR-5, DSIDC
	BAWANA INDUSTRIAL AREA
	PVC Wires & Cables Without Trade Effluent
	 
	BUA: 250 Sq mt
GW: Nil
Water Consumption:500 Lt/Day
Waste Water:
(a) Dommestic effluent:100 Lt/Day 
(b) Trade Effluent: Nil
Year of estblishment: 2009
	Recommended for grant of consent to establish.
	Issue consent to establish.

	209
	31071
	11-08-2009
	RAJENDRA ENTERPRISES
	PLOT NO. A-43/A, PHASE-I
	NARAINA INDUSTRIAL AREA PH-I
	Mfg. of Plastic moulded goods with with injection moulding machine w/o trade effluent.
	 
	
Earlier CTE issued on 01.06.06 for activity of plastic items accessories of plastic footwears and mfg. of die mould
Applied for CTO on 29.05.07
Trade effluent : Nil
DG Set : Nil
	Recommended for grant of consent to establish.
	Issue consent to establish.

	210
	31074
	11-08-2009
	YADAV CABINET MOULDERS
	340/58, GALI NO. 1B
	FRIENDS COLONY INDUSTRIAL AREA
	Mfg. of Plastic products by injection moulding
	17.06.09
Issue SCN u/s 21 of the Air Act and u/s 25/26 for not obtaining consent to establish and consent to operate. Call on 19.08.2009
	BUA: 84 sqm
Ground Water: nil
Water Consumption: 120 lit/day
Waste Water:
(a) Domestic Effluent: 20 lit/day
(b) Trade Effluent: nil
Year of Establishment: 2009. 

Applied for CTE on 11.08.09.
Applied for CTO on 11.08.09
	Recommended for grant of consent to establish.
	Issue consent to establish.


