 Minutes of the 72nd  meeting of the Committee Constituted for Deciding the Consent under Orange Category, held on 13.08.2008 in the Conference Room of Chairman, DPCC.

   The following persons attended the meeting:

1. Sh. J. K Dadoo, Chairman DPCC

2. Sh. K. Mahesh, Member Secretary, DPCC

3. Sh. S.K.Gupta, Head Chemical Engineering Deptt. ,IIT Delhi 

4. Sh. B. Kumar, SEE, DPCC

5. Sh. M. Dwarakanth, SSO, Dept. of Env., GNCTD.

6. EEs  of CMC – I, II & III.

7. AEEs of PGRC.

8. AEEs and JEE of CMC – I, II & III.

EE, CMC – II could not attend the meeting as he was on leave.

Following decisions were taken in the said meeting:- 

Agenda Item No.1-   Personal hearings of (i) Brightways Housing & Land Development, Construction of Office Cum Shopping Mall at Plot no 7 Distt Centre Jasola New Delhi (ii) Vardhman Land Developers Private Limited Pushpanjali Promoters Private Limited Construction of  TDI Mall , Plot no 11, Shivaji Place, District Centre, Rajouri Garden, New Delhi (iii) Ambience Developer Pvt. Ltd, Plot No. 2, Vasant Kunj Mall, Vasant Kunj (iv) Beverly Park Maintenance Service Ltd at Plot No. 3, Vasant Kunj Mall, Vasant Kunj, Delhi

(i) Brightways Housing & Land Development, Construction of Office Cum Shopping Mall at Plot no 7 Distt Centre Jasola New Delhi 

The unit has not attended the meeting and submitted a representation requesting for postponement of the hearing. Call for personal hearing on 20.08.2008, at 09.15 PM as a last and final opportunity. 


(ii) Vardhman Land Developers Private Limited Pushpanjali Promoters Private Limited Construction of  TDI Mall , Plot no 11, Shivaji Place, District Centre, Rajouri Garden, New Delhi 

The unit has not attended the meeting and submitted a representation requesting for postponement of the hearing. Call for personal hearing on 20.08.2008, at 09.30 as a last and final opportunity. 


(iii) Ambience Developer Pvt. Ltd, Plot No. 2, Vasant Kunj Mall, Vasant Kunj 

The unit came for personal hearing today.  It raised various issues including the fact that it does not consider itself to be a wilful defaulter, and it does not feel that it should pay any damages and that it has invested a large amount in the project and the damages should not be calculated on the basis of cost of the land and project. 

Perusal of the SIT report indicates several deficiencies w.r.t compliance of EIA conditions which have not been fulfilled. These may be indicated to the unit by way of notice for immediate correction.  Secondly, it has not filed the six monthly monitoring reports required vide Environmental Clearance conditions. It must submit the six monthly reports within this month. Thirdly, the adequacy reports that the unit has submitted are not from an empanelled consultant of DPCC, it may be directed to file these reports from an empanelled consultants of DPCC which are mentioned on the website of DPCC. Call on 03.09.2008.

(iv) Beverly Park Maintenance Service Ltd at Plot No. 3, Vasant Kunj Mall, Vasant Kunj, Delhi


The unit came for personal hearing today and explained that since the matter is sub-judice, the matTer should be taken up in the Court. MS, DPCC  has objected to this since there is no stay in the matter and the court has directed not to take  any precipitate action without giving 10 days notice / time. MS, DPCC feels that in the public interest  air, water & noise monitoring report must be undertaken before any further decision is taken. Let DPCC do the air, water & noise monitoring in the next 15 days. Call on 03.09.2008.
Agenda Item No.2- PGRC cases


Due to paucity of time, the cases of this agenda could not be taken up and Committee has directed PGRC to put up all these cases administratively by next week in one bundle.
Agenda Item No.3-   Special reference cases. 

Decisions taken with respect to this agenda are tabulated and annexed    as Annexure – 1.

Agenda Item No.4-   Shopping Mall cases
Decisions taken with respect to this agenda are tabulated and annexed    as Annexure – 2. All cases, where SIT reports have been filed, should be put up administratively to the Chairman as it involves a lot of time reading each report in the CMC.
Agenda Item No.5- Construction Projects cases

This agenda could not be taken up by the Committee, due to paucity of time, and decided to take up the same in the CMC meeting to be held on 10.9.2008.
Agenda Item No.6- Representation of APIA Association regarding issuance of consent.
This agenda could not be taken up by the Committee, due to paucity of time, and decided to take up the same in the CMC meeting to be held on 10.9.2008.
Agenda Item No.7- Cases of Okhla Industrial Area 
This agenda could not be taken up by the Committee, due to paucity of time, and decided to take up the same in the CMC meeting to be held on 10.9.2008.
Agenda Item No.8- Cases of Naraina Industrial Area, Phase-I
This agenda could not be taken up by the Committee, due to paucity of time, and decided to take up the same in the CMC meeting to be held on 10.9.2008.
Agenda Item No.9- Cases of SMA, SSI & RUN Industrial Area
This agenda could not be taken up by the Committee, due to paucity of time, and decided to take up the same in the CMC meeting to be held on 10.9.2008.
Table Agenda Item No 1 :-  M/s A.N. Polymers Pvt. Ltd., A-54, Narina Industrial Area, Phase-I, New Delhi-110028
The unit has itself suggested that noise monitoring report of the D.G. Set(s) will be filed. Let the unit file the report of D.G. Set(s) immediately and also to file the permission from CGWA for ground water drawl. Call on 10.09.2008. 
Table Agenda Item No 2 :-Hemkunt Sahib Infrastructures Developers proposed parking cum commercial complex at Kasturba Gandhi Marg, New Delhi. 
Ask the unit to apply for Consent to Establish and file Environmental Clearance  expeditiously. Call on 10.09.2008.

Table Agenda Item No 3 :- The case of M/s Internal Data Center Building, at Greater Kailash-I, New Delhi was taken up as Table Agenda Item. Due to want of time, SIT report may be submitted administratively by the SIT team for clear decision to be ratified in the next CMC meeting. 

Meeting ended with thanks to the Chair.

	Sl.No
	Name of the unit
	Activity
	Earlier Decision, if any
	ATR/Remarks
	Decision on  13.08.2008

	1
	D.D. Motors (Divison of D.D. Industries Ltd.d), A-1, Udyog Nagar Industrial Area
	Show Room, Repair Workshop & Servicing of Automobiles (Cars)
	_
	Applied for CTE on 24.12.2007 vide I.D. No. 24572.
Ground Water : 10 KLD.
Unit has not applied for authorization under HWM Rules.
	Issue notice for CGWA clearance and apply for authorization under HWM Rules. Call on 10.09.2008.

	2
	Kailash Motors, 56A/1, Lisa Complex Ram Road, Najafgarh Road Industrial Area
	Authorised service station (two wheeler)
	_
	Applied for CTO on 03.10.2006 vide I.D. No. 19472.
Applied for authorization under HWM Rules on 18.12.2006 vide I.D. No. 4174.
	Since the activity has been reported closed, refuse consent & Authorisation and disconnect water & power supply in this name. 

	3
	Suhil Enterprises, B-8/4, Phase-I, Badli Industrial Area
	Mfg. of PVC / Plastic Products
	_
	Applied for CTO (R) on 13.04.2007 vide I.D. No. 21041.
Obtained CTO on 11.06.2003 valid upto 25.07.2005.
	Ask the unit to apply for Consent to Establish and also examine the applciation in view of the recent High Court Order.  Call on 10.09.2008.

	4
	Frezeking Industries Pvt. Ltd., 7/17, Kirti Nagar Industrial Area
	Cold Store
	_
	Unit has obtained CTO(R) under Green category on 11.04.2005 valid upto 27.02.2010.
Applied for CTO  under Orange category on 15.06.2005 vide I.D. No. 14505.
	Ask the unit to apply for Consent to Establish.  Call on 10.09.2008.

	5
	Wenger & Co., A-16, Connaught Place, New Delhi
	Bakery & Confectionery
	_
	Applied for CTE on 03.03.2008 vide I.D. No. 25084.
Applied for CTO(R) on 29.11.2007 vide I.D. No. 24369.
Unit has obtained CTO valid upto 02.12.2007.
Ground Water : 1200 Lt/day
	Ask the unit to file CGWA clearance for ground water drawl. Call on 10.09.2008.

	6
	Hotel Marina, G-59, Connaught Circus, New Delhi
	Hotel
	_
	Unit has obtained CTO(R) on 23.06.2008 valid upto 23.07.2008.
Unit has not applied for renewal of consent.
	Ask the unit to apply for Consent to Establish.  Call on 10.09.2008.

	7
	Medicare Products Inc, 4/7 (2nd Floor), Kirti Nagar Industrial Area
	Mfg. of thermometer and assembling of srugical / medical and scientific instruments & equipments
	_
	Applied for CTO (R)  on 05.10.2007 vide I.D. No. 23784.
Unit has obtained CTO valid upto 17.10.2007.
	Ask the unit to apply for Consent to Establish.  Call on 10.09.2008.

	8
	R.K. Industries, Plot No 257, Pocket-O, Sector-1, DSIDC, Bawana
	Mfg. of copper wire & PVC Cable (w/o trade effluent)
	                       27.09.2007
Disconnection of elctricity  & Watter supply and cancellation of MCD license in the name of the unit.                              
   18.02.2008
Ask him to submit BG of Rs. Fifty Thousand under Air Act, 1981 for one year period.
	Applied for CTE on 07.11.2007 vide I.D. No. 24147.
Ground Water : 400 Lt/day.
As per CM decision dated 18.02.2008, letter issued.
BG submitted on 25.03.2008
	Issue Consent to Establish and restore water & power supply, but ask him to take CGWA clearance for ground water drawl. Call on 10.09.2008

	9
	R.N. Motor, Peeragarhi
	Service Station
	_
	Applied for CTO(R)  as well as authorization under HWM Rules.
	Ask the unit to file CGWA clearance for ground water drawl. Call on 10.09.2008.

	10
	Suparshwa Laminates Pvt. Ltd., 165, Siraspur Village, Delhi-52
	Velvetting on the fabric including dyeing of cotton flocs
	                                          17 & 19.09.2007
AEE to inspect.
                                         14.11.2007
If the unit files an affidavit that it will not take up any industrial activity in this residential premises. And files Bank Guarantee of Rs. 3 lakhs then CMC may consider withdrawal of case from court in view of the fact, Premises found demolished and lying vacant. 
	Unit has submitted BG of Rs. 3 Lakhs on 27.12.2007 valid for one year and requested for withdrawal of the complaint  filed before the MM, Delhi.
	Court case  be withdrawn since compliance has been done.


	TOTAL  NO
	CMC
	S. No of CMC
	Next Date
	S.No
	Ref. No
	Name & Address
	Date of EC accorded by MOEF
	Status  of application for CTE
	Bult Up Area
	Water / Waste Water details
	Total Project Cost
	Date of Commissioning
	Earlier Decisions
	ATR/REMARKS
	Decision on 13.08.2008

	2
	1
	2
	12.08
	1
	SA-2
	G.P. S Developers & Contractors Pvt Ltd , West Gate Mall, 4,5 & 6 Shivaji Place District Center, Rajagarden
	39177
	Consent to Establish/ NOC  valid upto  23-04-07                     vide Consent No.- 14249 
	10728Sqm
	10Kld(MCD),120KLD(G.W)/
	45crores(72crores Gross)
	04.09.08
	                                 11.6.2008
The unit has not filed an appropriate affidavit and may be directed to file item-wise compliance in a shape of proper affidavit. The unit may also be asked to file permission from CGWA for ground water drawl. Call on 11.07.2008.
                                  11.07.2008
Final reminder for CGWA and item-wise affidavit. Call on 06.08.2008.
	As decided in CMC meeting dated 11.07.2008, reminder was issued on 23.07.2008.
Unit has submitted revised itemwise compliance affidavit and copy of letter addressed to MS, CGWA.
	SIT to inspect & report. Call on 10.09.2008

	4
	1
	4
	12.08
	2
	SA-4
	Naman Buildcon Ltd Proposed Commercial Complex   Namely Pacific Mall at Khyala New Delhi
	19.5.08
	24-05-07
	42438.58Sqm
	375KLD/250KLD(STP)in EC
	65crores
	 
	                                 21.05.2008
There appears to be a rather long date in this prosecution case which in the first place was delayed by 40 days in the process of filing the prosecution. Let Sh. Prem Kumar,  Advocate in the panel of DPCC,  file an application for early hearing in this case so that the prosecution proceedings become meaningful. 
                                 
18.06.2008
Send the copy of MoEF's letter to DMRC. Call on 18.07.2008.
	As decided in CMC, a letter to DMRC along with copy of letter received from MOEF on 03.07.2008
The next date of hearing is 20.10.2008.
	Call on 20.10.2008.

	7
	1
	7
	12.08
	3
	SA-7
	 Sonia Theater Pvt Ltd G-1, Community Centre, Vikas Puri New Delhi-18 (AEZ Sqaure)
	Not submitted
	Not submitted
	3500 sqm
	-
	 
	Oct 01
	                          21.05.2008 
The built up area is 3500 sqm but a lot of food shops exist. Ask the unit to file details of water drawn from DJB, waste water discharge details and  apply for Consent to Establish. Call on 18.06.2008.
                          18.06.2008
The unit has filed its reply in response to our letter dated 28.05.2008. However, the unit has not indicated details of ground water drawl and requisite permission, waste water discharge details and has also not applied for Consent to Establish. It has confirmed that it has two food shops which must be generating a fair degree of waste water. The unit may be issued the final reminder to submit details of ground water drawl and its permission, waste water discharge and its treatment and Consent to Establish. If the unit fails to do so by 18.07.2008, it will be issued notice for closure. 
	Letter for CTE issued on 28.5.08
Reminder issued on 01.07.2008.
Unit has submitted reply on 09.07.2008 but not applied for CTE. One unit namely M/s Mc Donold's family restaurant operating in the premises has applied for CTE. 
	Issue notice to the second restaurant  to apply for Consent to Establish. Call on 10.09.2008.

	8
	1
	8
	12.08
	4
	SA-8
	City Square Mall, Plot No -8, Shivaji Place, Rajouri Garden, Delhi
	Built up area 
Plot No 7 :   10794.61 sqm 
Plot No 8 :   11791.6 sqm
	Applied for Consent to Establish in two different names for plot no 7 & 8
	Built up area 
Plot No 7 :   10794.61 sqm 
Plot No 8 :   11791.6 sqm
	Plot No 7 : 100 KLD
Plot No 8 : 69.2 Kld
	Plot No 7 : 25.8 Cr.
Plot No 8 : 21.07 Cr.
	Plot No 7 : Dec, 2005
Plot No 8 : Dec, 2005
	The unit may be asked to apply for environmental clearance, since the same unit is setting up two adjacent malls which will be construed as one mall unless otherwise clearly justified. Affidavit for date of construction and completion, architectural drawing & completion certificate may  be filed by 25.3.08. 
                             03.4.08
Let SEE study the file and take up on 10.04.2008.
                            17.04.2008
While the unit has filed the affidavit, it has not filed completion certificate and the unit may be issued a reminder to do so within 15 days. Call on 14.05.2008.
                             21.05.2008
The unit has two malls adjacent to each other and the total built up area  exceeds 20000 sqm. Let SIT to inspect and report by 03.06.2008. Call on 03.06.2008.
                             18.06.2008
In view of the fact that there is no clarity on whether plot no 7 & 8 are distinct, call for personal hearing at 7.00 PM on 11.07.2008.
                              11.07.2008
The unit came for personal hearing today. It has very cleverly tried to conceal the facts that two plots are different while it runs similar entity for both the plots thereby united it in terms of pollution and its treatment. The unit is in operation since September, 2005 without Consent to Establish and without Environmental Clearance which it should have taken. Since the waste water discharge whether taken singly or jointly is more than 50000 litres / day therefore it was covered under EIA notification dated 07.07.2004 thereby requiring to obtain Environmental Clearance from MOEF. The combined built up area is more than 26000 sqm therefore MS, DPCC may write to Addl. Secretary, MOEF for calling the unit for submission of application under the EIA notifications, as this is an attempt to nullify the law through clever means. The management of the two plots is the same hand though the ownership of the plot may be in different hands. The Committee feels that end of justice will be met if a cash penalty of 1 % of the project cost and Bank Guarantee of 2 % of the project cost is deposited for the projects on both plots i.e. Plot No 7 & Plot No 8. The representative came for the hearing gave the undertaking for depositing the same by 17.07.2008 for both the projects. If the units do so, Consent to Establish be issued to both the units and reported in CMC on 17.07.2008. Call on 17.07.2008.
                                    17.07.2008
 During the course of CMC meeting, the unit filed a cash penalty of Rs. 25.80 Lakhs in one case (plot no 7) and Rs. 21.07 for another case (plot no 8) to comply with the decision of CMC in its meeting dated 11.07.2008. The unit says that he will file Bank Guarantee in 03-04 days. If, the unit files the Bank Guarantee before the next CMC, Consent to Establish may be issued at the same time. Call on 24.07.2008 for compliance report.
                                   24.07.2008
File to be dealt with administratively as submitted. 
	As decided in CMC, cash penalty of 1 % of the project cost and BG of 2 % of project cost, unit has  deposited cash penalty as well as  BG seprately for two plots i.e. plot no 7 & 8,  Shivaji Place, District Centre, Raja Garden, New Delhi in the name of Sewa International Fashion Ltd. and Discovery Estate Pvt. Ltd. respectively. MS, DPCC has directed to issue a letter  addressed to Addl. Commissioner JJ& Slum department and copy to Commisioner, MCD for the encroachment of public land and CTE is to be kept in abeyance. Accordingly, draft letter has been put in file.  Further in compliance of CMC decision, a letter regarding EC addressed to Addl. Secretary, MOEF has been also put up in file.
As decided, CTE has been issued.
	No action.

	10
	1
	10
	12.08
	5
	SA-10
	S.S. Co-Build Pvt. Ltd. proposed shopping mall "Capitol City Mall", BG-1 & BG-2, Paschim Vihar, New Delhi.
	Built up area : 13571.94 sqm
	Applied on 03.07.2008
	13571.9 sqm
	MCD : 14 KLD / MCD Sewer : 10 KLD
	136.50 Cr.
	2009
	                              18.06.2008
In this case there is no Consent to Establish, no Environmental Clearance and there is a full-fledged SIT report with all the deficiencies. The unit has not replied to notice for closure and therefore the closure orders are confirmed with directions to disconnect water / power supply. This closure order must be served by Monday i.e. 23.06.2008 without waiting for the minutes. Draft order may be shown to the Chairman before issue. Call on 18.07.2008.
	Directions for closure issued on 24.06.2008.
Unit has applied in the name of S.S.Co Build Pvt. Ltd. for CTE on 03.07.2008.
	Call for personal hearing on 10.9.2008

	13
	1
	13
	12.08
	6
	SA-13
	DLF LTD Proposed multilevel parking Cum commercial complex, sarojni nagar
	Not submitted
	Applied on 11.03.2008
	  Plot area is 3787.63sqmBuilt up area is 21887.9 Sqm 
	76.3 KLD
30.3 KLD (Municipal Authority + 46 KLD recycled water) / WW : 48.4 KLD
	80 Cr.
	May, 2010
	                                      23.05.2008
Issue final reminder for submitting a copy of Environment Clearance. Ask SIT to inspect and report. Call on 03.06.2008.
                                   18.06.2008
(i)  Fresh water is 30.3 KLD without permission from CGWA for ground water drawl. 
(ii)  Waste water generation is 48.4 KLD.
(iii)  D.G. Sets of 750 KVA (2 nos.) and 500 KVA (2 nos.)

Ask the unit to file the Environmental Clearance and permission from CGWA for ground water drawl. Call on 18.07.2008.
	As decided, a letter issued on 01.07.2008. 
Unit has submitted a reply on 10.07.2008, but silent on waste water discharge and D.G. Set. Unit has reported fresh water 30.3 KLD will be taken from NDMC. No ground water will be drawn for the project. Hence, permission from CGWA is not applicable. 
EC is awaited.
In response to a letter recevied from NDMC. A D.O. letter by MS to Sh. Vikram Dev Dutt, Secretary, NDMC has been issued on 01.08.2008.
	 The unit was issued a letter for CGWA clearance, treatment of waste water and stack height and acoustic enclosure with the D.G. Set(s). The unit has replied to this notice saying that no ground water will be used and fresh water will be taken from NDMC. It has also stated that EC is awaited. The unit is silent on waste water generation and its treatment and the D.G. Sets. On these two points, a fresh notice may be issued. Also ask the unit to expedite EIA. Call on 10.09.2008.

	14
	1
	14
	12.08
	7
	SA-14
	DLF LTD Proposed multilevel parking Cum commercial complex, Baba Kharak Singh Marg
	Not submitted
	Applied on 11.03.2008
	 Plot Area is 6085.5 sqm Built up area is 33, 633.28 Sqm 
	Water : 115.9 KLD (42.4 KLD MCD + 73.5 KLD recycled treated sewage) / WW : 77.4 KLD
	130 Cr.
	May, 2010
	                                17.04.2008
The unit has not filed the Environmental Clearance which may be done expeditiously. Call on 14.05.2008.
                                 21.05.2008
Call on 23.05.2008.
                                  23.05.2008
Issue final reminder for submitting a copy of Environment Clearance. Ask SIT to inspect and report. Call on 03.06.2008.
                                  18.06.2008
(i)  Fresh water is 42.4 KLD without permission from CGWA for ground water drawl. 
(ii)  Waste water generation is 77.4 KLD.
(iii)  D.G. Sets of 750 KVA (2 nos.) and 500 KVA (2 nos.)

Ask the unit to file the Environmental Clearance and permission from CGWA for ground water drawl. Call on 18.07.2008.
	As decided, a letter issued on 01.07.2008.
Unit has submitted reply on 10.07.2008 but silent on waste water generation and D.G. Sets. Unit has reported fresh water of 30.3 KLD will be taken from NDMC. No ground water will be taken. Hence, permission from CGWA is not applicable. 
EC is awaited.
	 The unit was issued a letter for CGWA clearance, treatment of waste water and stack height and acoustic enclosure with the D.G. Set(s). The unit has replied to this notice saying that no ground water will be used and fresh water will be taken from NDMC. It has also stated that EC is awaited. The unit is silent on waste water generation and its treatment and the D.G. Sets. On these two points, a fresh notice may be issued. Also ask the unit to expedite EIA. Call on 10.09.2008.

	15
	1
	15
	12.08 SIT
	8
	SA-15
	Vardhman Plaza, Plot no 3, Motia , Khan, Paharganj, Delhi
	Not submitted
	Not submitted
	_
	_
	_
	_
	                             29.5.08
In  04 Vardhman cases, 3 projects in Dwaraka and one project in Motia Khan, the Committee is of the view that the units have gone to the Court with unclean hands and managed to get stay. DPCC through SIT must get the fresh inspection done focusing on whether the projects fall within the notification of 07.07.2004 with reference to the project investment (b) waste water discharge of 50 KLD as building plans were sanctioned on 22.02.2005, 04.08.2005, 15.02.2005 & 25.11.2003 and the construction has already been completed on 09.11.2006, 25.06.2007 on plot of Sector-7 & 19 and occupancy certificate from DDA for sector-23 is dated 04.12.2006. The earlier inspection reports have not been signed at the site by the official present of the project proponents. Therefore, SIT inspection may be conducted on the above said points. Inform CMC of ATR on 03.7.08.
	The file is with Legal Cell as a reply to be filed in court.
	Sh. Prem Kumar to handle this case in future. Call after court hearing in September, 2008.

	16
	1
	16
	12.08
	9
	SA-16
	R G Complex, Plot no 2, Motia Khan, Paharganj, Delhi
	Not submitted
	Not submitted
	3990 sqm
	10 KLD 
	Not reported
	20.07.06
	                         17.04.2008
Issue notice to the unit to file Consent to Establish and Environmental Clearance along with an affidavit indicating date of start of construction & date of completion of construction and to submit approved architectural drawing and completion certificate. Call on 14.05.2008. 
                          21.05.2008
SIT to inspect and report by 11.06.2008. Call on 11.06.2008.
                            18.06.2008
(i) Ground water is 20 KLD without permission from CGWA for ground water drawl. 
(ii) Waste water generation is 16 KLD. No indication of its treatment.
(iii) D.G. Sets of 50  KVA (3 nos) and 25 KVA (1 no.). Stack height of D.G. Set of 25 KVA is inadequate.

Ask the unit to file an application for Consent to Establish alonga with permission from CGWA for ground water drawl and above information. Call on 18.07.2008.
	As decided, a letter issued on 01.07.2008.
The same is received back undelievered and reissued on 09.07.2008.
Unit has submitted reply on 18.07.2008
	The unit is challenging the notice issued for CGWA, treatment of waste water and deficiencies in D.G. Set. Issue fresh and final notice, failing which notice for closure will be issued. Call on 10.09.2008.

	17
	1
	17
	12.08
	10
	SA-17
	RG City Centre, Plot no 4, Motia Khan, Paharganj, New Delhi
	Not submitted
	Not submitted
	3990 sqm
	MCD : 10 KLD (in reply) / GW : 20 KLD (as per inspection report) / WW - 16 KLD without STP (as per inspection report)
	Not reported
	29.05.2007
	                         17.04.2008
Issue notice to the unit to file Consent to Establish and Environmental Clearance along with an affidavit indicating date of start of construction & date of completion of construction and to submit approved architectural drawing and completion certificate. Call on 14.05.2008. 
                           21.05.2008
SIT to inspect and report by 11.06.2008. Call on 11.06.2008.
                           18.06.2008
(i) Ground water is 20 KLD without permission from CGWA for ground water drawl. 
(ii) Waste water generation is 16 KLD. No indication of its treatment.
(iii) D.G. Sets of 125 KVA & 320 KVA with acoustic enclosure and adequate stack height.

Ask the unit to file an application for Consent to Establish alonga with permission from CGWA for ground water drawl and above information. Call on 18.07.2008.
	As decided, a letter issued on 01.07.2008.
The same is received back undelievered and reissued on 09.07.2008.
Unit has submitted reply on 18.07.2008
	Issue fresh notice seeking information sought earlier.

	18
	1
	18
	12.08
	11
	SA-18
	CTC Mall, 3, Najafgarh Road, New Delhi
	2552.96Sqm
	28.5.08
	2552.96Sqm/in reply-2043Sqm
	1500LD(municpal)/discharge-800LD(no STP)
	77800000Rs
	Dec----2008
	                       03.06.2008
The unit came for personal hearing today . The unit has agreed to do the following:-

(a) The unit has to file the permission from the Central Ground Water Authority for ground water drawl. 
(b) The inspection report shows waste water generation of 4.8 KLD without any substantiation as of now how it is being treated. The unit is advised to install mini STP for treatment of this sewage water.  
(c) Our record shows lease agreement between erstwhile industry and this unit that the premises should be used for factory purpose. Let the unit file the building plan and completion certificate from DDA/ MCD. Call on 11.07.2008.
                     11.07.2008
Call on 06.08.2008.
	As decided, a letter issued on 13.06.2008, unit has submitted a letter and requested for 45 days time for installation of STP.
	Call for personal hearing on 10.9.2008  at 5.30 PM.

	21
	1
	21
	12.08
	12
	SA-21
	Office & Commercial mall at 27, K.G. Marg, Delhi by Parsvnath Developers Ltd.
	Built up area 16783 sqm
	16.06.2008
	16783 sqn
	MCD - 81.4 KLD / WW / 36 KLD
(No STP)
	244 crores
	2010
	Letter issued seeking Consent to Establisha, copy of Environmental Clearance, details of D.G. Sets, built up area & generation of waste water. 
                                28.5.08
The unit in its reply has stated that the proposed built up area will be less than 20,000 sqm and it will apply for CTE at the appropriate time. However, press report indicates the total plot area of more than 5,000 sqm and total investment of nearly Rs. 300 crores. The unit may therefore be asked to file the following documents:
1. Affidavit indicating date of start of construction and date of completion. 2. Completion certificate. 3. Approved architectural drawing. 4. details of water drawl. 5. Permission for water drawl. 6. Deatils of  waste water discharge   7. Details of D.G. Sets.8. Plot area. 9. Builtup Area. 10. Application for Consent to Establish. 11.Copy of Environmental Clearance
Call on 03.07.2008.
	Letter issued for required information / dsocuments.
Applied for CTE on 16.06.2008 vide I.D. No. 26072.  Specific Reply not submitted but application for CTE submited on 16-06-08.
	SIT to inspect and report. Call on 10.09.2008

	32
	2
	5
	12.08 SIT
	13
	SB-5
	Star City Mayur Vihar, Ph-I, Delhi Noida Road, Delhi
	Not accorded.
	Not applied for consent to Establish
	no detail provided
	no detail provided
	no detail provided
	no detail provided
	                               01.05.2008
A strong letter may be drafted by MS to counter the points raised by the unit in its letter dated 20.03.2008, reiterating the CMC decision to file the Consent to Establish application and a copy of the approved architectural plan and completion certificate. The provisions of the Air & Water Acts and the Noise Rules may be highlighted and the extent of waste water discharge and  D.G. Sets status may also be asked to be furnished. If the unit fails to do so by 21.05.2008, CMC will be free to decide the case as per Environmental Laws.  
                               23.5.08
Call on 03.06.2008.
                               18.06.2008
SIT to inspect and report. Call on 18.07.2008
	Notice issued. Reply received. But not applied for CTE.
SIT inspection report to be discussed.
	Ask the unit to apply for Consent to Establish and correct the deficiencies noted by SIT. Call on 10.09.2008.

	34
	2
	7
	12.08
	14
	SB-7
	Rishab Ipex Mall, I.P Extension, Near Max Balaji Hospital Delhi
	NA 
	27/03/08
	666.52
	2(borewell)/ 1.6(WW)
	10Cr.
	 
	                       11.04.2008
The unit was inspected by MS. In view of violation of stack height provisions, the unit may be asked to correct the deficiencies and file a Bank Guarantee of Rupees One Lakh under Air Act by 30.04.2008.  
                       01.05.2008
Call on 14.05.2008.
                                 23.5.08
Issue reminder for Bank Guarantee to be filed within 15 days. Call on 11.06.2008.
                        18.06.2008
Issue final reminder failing which notice for closure order be issued. Call on 18.07.2008.
	Letter issued on 01.07.2008. 
Reply received.
	BG will not be waived. Call for personal hearing on 10.09.2008, at 06.00 PM

	35
	2
	8
	12.08
	15
	SB-8
	P.S.K. Distrcit Centre, Laxmi Nagar, Vikas Marg, Delhi, DSIDC Govt of NCT of Delhi
	NA
	15.01.2008
	644 sq m
	corporation and ground water, 
3  KLD (WW)
	70 lakhs
	Feb 08
	                           11.03.2008
The unit appears to be a club with dining facilities. The unit may be asked to clarify whether they have installed ETP / STP. The unit may also be asked to clarify whether they have adequate stack height and acoustic enclosures with two D.G. Sets. 
                            11.04.2008
Time allowed till end May, 2008 to install ETP. 
                         28.5.08
The unit must file the ETP report and noise monitoring report latest by 18.06.2008. Call on 18.06.2008.
                            18.06.2008
Call on 18.07.2008 with reply.
	Letter issued on 03.06.2008. 
Reply awaited.
	Issue final reminder. Call on 10.09.2008.

	36
	2
	9
	12.08
	16
	SB-9
	Genious Promoters And Developers Pvt. Ltd. Constructed Shop N Park Mall, CBD Ground, Near Karkardooma Court, Delhi-92
	_
	Applied For Consent to Establish on 12.6.08
	 
	 
	 
	 
	                                      11.07.2008
The unit came for personal hearing today against the notice of closure issued on 30.05.2008 and reconsidered on 18.06.2008 for a personal hearing. The unit claims that its superior are in Singapore / Hongkong therefore it needs another four days to consult them.  In a similar case which was represented by the same gentleman       Sh. B. Singh who appeared in this case and in similar circumstances the said unit had paid a cash penalty of 1.5 % of the project cost and Bank Guarantee of  1.5 % of the project cost and also withdrawn his case from the Hon’ble High Court. In this case, the unit has been discharging 29 KLD of waste water without any treatment facility since July, 2005 when it came into operation after getting the completion certificate. This is a serious violation of the Water Act and calls for immediate closure of the unit u/s 33(A) the Water Act 1974.  However, since the unit claims that his owners will be back over the weekend, the Committee restrains itself from passing the order till Monday giving a chance to the unit to pay the damages of 
1.5 % of project cost of Rs. 28.59 Crores as cash penalty and Bank Guarantee of 
1.5 % of the project cost of Rs. 28.59 Crores valid for three years, by Monday itself. 
If he fails to do so confirmation of closure order will be delivered with a copy to BSES
 Yamuna and DJB before closing hours of 14.07.2008 i.e. 5.00 PM positively. This order will 
not wait for the minutes to be issued, since today is the Friday and already six weeks time 
have been given to the unit since issuance of closure notice as against the mandatory
 two weeks time. The status of the sequence of events may be brought administratively 
on file by end of 14.07.2008. Call on 17.07.2008.
	Penalty  & BG not submitted within stipulated time. Hence, as per decision of CMC, closure directions issued on 14.07.2008
Now, unit has submitted cash penalty of Rs. 40 Lakhs as well as BG of Rs. 40 Lakhs instead of Rs. 42.88 Lakhs (as 1.5 % of project cost of Rs. 28.59 crores) as decided in CMC dated  11.07.2008. The proforma of BG yet to be finalized.
	Revoke the closure order and issue Consent to Establish.

	37
	2
	10
	12.08
	17
	SB-10
	Aditya Mall, CBD Ground, Near Karkardooma Court, Delhi-92
	NA
	30/05/08
	12867.115
	By tanker / 4(WW)
	22 crores
	1.4.06
	                                                            31.07.2008
The case was taken up as a table agenda item in view of the letter dated 25.07.2008, since the matter has already been disposed of by CMC on 24.07.2008 and minutes have been uploaded on the website, the matter is complete. Call on 06.08.2008.
                                06.08.08
The unit appeared before Committee during the CMC meeting. He has filed the representation before Hon’ble Chief Minister, which was received and shown to all the Committee members today. The Committee deliberated on the lenient view representation of the unit and decided that since it was a small unit and was running only one mall, the damages could be readjusted to 1 %  of the total project cost and Bank Guarantee would be decided only after the damages of Rs. 20 Lakhs is paid before 12.08.2008. Call on 12.08.2008 for a final decision.  
	Notice for closure issued on 29.05.2008. 
Consent application received. 
Unit filed writ before Hon'ble HC. No stay granted.
Analysis reprot of effluent received from DPCC laboratory. 
As per CMC decision dated 06.08.2008, Unit has submitted Rs. 20 Lakhs as cash penalty on 07.08.2008.
	Since the damages of Rs. 20 lakhs has been paid. The unit may be directed to submit Bank Guarantee of Rs. 40 Lakhs by 10.09.2008. Call on 10.09.2008. 

	38
	2
	11
	12.08
	18
	SB-11
	 MGF Developers Ltd Proposed Commercial Mall Namely  MGF City Mall at Khyberpass, New Delhi
	 29.02.2007
	21/10/05
	48216.481
	200(MCD)+696(GW)/ 225(WW)
	125Cr.
	 
	                          17.07.2008
The unit came for personal hearing today.  The cost of the project is Rs 125 Crores. The unit has carried out excavation work. Cash penalty of 10 % of the 0.5 % of the project cost i.e. Rs. 6 Lakhs and equivalent amount as Bank Guarantee valid for three years may be deposited by the unit by 24.07.2008. Call on 24.07.2008.
                          24.07.2008
Consent to Establish to be issued as soon as it files the original Consent to Establish application without fee. Call on 31.07.2008.
                             31.07.2008
Ask the unit to file copy of the project report which is required with the Conent to Establish application if not available on the file. Issue Consent to Establish immediately.  Call on 12.08.2008.
	As per decision of CMC dated 17.07.2008, unit has submitted Rs. 6 Lakhs as cash peanlty & Rs. 6 Lakhs as Bank Guarante on 24.07.2008 and requested for 2-3  days time for submision of fresh CTE application along with required documents without consent fee as decided by the Committee. 
As decided in CMC meeting dated 31.07.2008, CTE issued.
	No action.

	39
	2
	12
	12.08 SIT
	19
	SB-12
	 Today Homes and InfrastructureLtd , Proposed Commercial Complex (North Gate obit plaza) at Gujaarawala Town  area of Model Town-II, New Delhi
	NA 
	 Not Applied For Consent to Establish, However had applied for NOC W.R.T EC on 24-08-06. The same has been forwrded to MOEF
	18444.5(as per letter)
	160(MCD)/ 74(WW)
	57.84Cr.
	2008
	                                  23.5.2008
Since unit claims built up area less than 20000 sqm, SIT to inspect specially on this point. Also on water drawl sources, waste water discharge in treatment and date of start of construction & date of completion of construction, details of D.G. Sets. Call on 18.06.2008.
                                   18.06.2008
Issue final reminder to file documents. Meanwhile SIT to inspect and report by 18.07.2008.
	Letter issued. 
Reply awaited.
Inspection reprot of SIT will be discussed.
	Ask the unit to file correction of deficiencies noted by SIT. Call on 10.09.2008.

	40
	2
	13
	12.08 SIT
	20
	SB-13
	Parsvnath Developers Ltd in construction with M/s OCL Ltd Construction of Integrated Station Building and commercial development at Inderlok Metro
	NA
	Not applied for consent to Establish
	16555(as per letter)
	Not provided
	Not provided
	Not provided
	                              21.05.2008
Ask the unit to file application for Consent to Establish, a copy of Environmental Clearance, affidavit indicating date of start of construction, date of completion,a copy of  completion certificate, approved architcural drawing, affidavit indicating plot area, built up area, details about waste water discharge and D.G. Sets. Call on 18.06.2008.
                                 18.06.2008
Issue final reminder to file documents. Meanwhile SIT to inspect and report by 18.07.2008.
	Letter issued. 
Reply received on 29.07.2008
Inspection reprot of SIT will be discussed.
	Due to want of time, SIT report may be submitted administratively by the SIT team for clear decision to be ratified in the next CMC meeting. 

	41
	2
	14
	12.08
	21
	SB-14
	Parsvnath Developers Ltd in construction with M/s OCL Ltd Commercial Complex at Pratap Nagar Metro
	NA 
	18/03/08
	2550.465 sq m
	MCD-17 KLD  GW-NIL  DIS.-7.68 KLD
	5.9 crore
	NA
	                            01.05.2008
SIT inspection confirms the claim of the unit that Environmental Clearance is not required. However, two D.G Sets were found in operational and Consent to Establish application indicates waste water generation to the tune of approximately 7.5 KLD. Let the unit file the noise monitoring report of D.G. Sets. Call on 03.06.2008. 
                         28.5.08
Call on 03.06.2008.
                              18.06.2008
Time allowed till 18.07.2008.
	Letter issued. 
Reply received on 29.07.2008 & informed that they have applied for noise monitoring report of D.G. Sets.
	Ask the unit to submit noise monitoring report by 10.09.2008.

	44
	2
	17
	12.08
	22
	SB-17
	Parsvnath Developers Ltd Commercial Project Azad Pur
	Application delisted by MOEF from the pending list.
	39728
	48680.21
	180(MCD) (Borewell present according to as per insp.) / 48(WW)
	199Cr.
	2008
	                                    21.05.2008
The unit did not appear for personal hearing today. It was decided to ask MS to write to Additional Secretary,MOEF enclosing both the letters of MOEF in which they have asked for action in one and delisting the case in the other. Call on 25.06.2008.
                                   25.06.2008
SIT to inspect and report by 11.07.2008. Call on 11.07.2008.
                                      11.07.2008
Issue reminder to Addl. Secretary, MOEF through Chairman, DPCC for response to our letter. Call on 06.08.2008.
	Letter isued.
Reply awaited.
	Ask the unit to correct the deficiencies noted by SIT. MS to check about the letter written about delisting of the case from the EIA Cell. Call on 10.09.2008.

	45
	2
	18
	20.08 PH
	23
	SB-18
	Galleria Property Management Services Pvt. Ltd at  DT City Center, Block A, Communtiy Center, Shalimar Bagh, Delhi
	 15.01.2007
	Applied
	 
	 
	 
	 
	                               29.5.08
The SIT report indicates several deficiencies, the most glaring of which is that the unit is drawing ground water through two bore-wells without any permission from CGWA. It has also not complied with several conditions of Environmental Clearance. Issue notice for closure which should be served to the unit as the office opens tomorrow. 
                               18.06.2008
Proper well drafted reply has to be filed in the High Court which may be drafted and shown to Chairman by 30.06.2008. 
                                11.07.2008
Call on 24.07.2008 for compliance.
                                24.07.2008
Reply to be filed in the court. Call on 06.08.2008.
	Notice for closure issued. 
Reply received.
Filing of the reply in the Hon'ble HC is in the final stage.
	Call for personal hearing on 20.08.2008 at 05.45 PM.

	46
	2
	19
	12.08 SIT
	24
	SB-19
	Parsvnath Developers Ltd in construction with M/s OCL Ltd Construction of Integrated Station Building and commercial development at Netaji Subhash Place Metro
	Applied on 17.04.2008
	22/04/08
	29074.55
	108.95(MCD)/ 71.2(WW) (STP)
	147.1Cr.
	 
	                       30.04.2008
In this case, applications for Consent to Establish and Environmental Clearance have been filed. The total built up area is going to be 29074.55 sqm. The unit claims, it has not started construction and is awaiting Environmental Clearance. Take up on 21.05.2008 with a copy of Environmental Clearance. 
                         21.05.2008
Unit to file Environmental Clearance. Call on 18.06.2008.
                           18.06.2008
Issue final reminder to file documents. Meanwhile SIT to inspect and report by 18.07.2008.
	Letter issued on 01.07.2008. 
Reply received on 07.07.2008
SIT report to be discussed.
	Due to want of time, SIT report may be submitted administratively by the SIT team for clear decision to be ratified in the next CMC meeting. 

	49
	2
	22
	12.08
	25
	SB-22
	North Square Mall , F-1,2,3 Netaji Subhash Place, Pitampura, Near T.V.Tower, New Delhi
	exempted from EC
	 
	10342.96 (as per inspection
	18(MCD)/ 14.4(WW)
	40.76 cr.
	june,06
	                                  03.06.2008
The unit was called for personal hearing today and attended the same. The unit has agreed to do the following by 25.06.208:-
(a) Self assessment of water cess to be done and deposited in DPCC.
(b) Stack height of DG sets to be raised to appropriate level.
(c) DPCC to do a water monitoring of waste water and confirm whether ETP / STP is required within 10 days and thereafter by 25.06.2008 the unit will confirm by when ETP / STP will be installed as found necessary through the water monitoring report. 
(d) The unit will file the permission from Central Ground Water Authority for drawl of ground water. 
                                     25.06.2008
Dr. Nandita, Sr. Scientist (Water) must be directed to do the water monitoring as required by CMC meeting dated 03.06.2008. Call on 18.07.2008.
	Letter issued.
Reply received. 
Water analysi report received from DPCC laboratory & stated that ETP/STP is very much required to treat waste water generated by the Mall.
	 Inform the unit that the STP is required. Let the unit install STP and confirm by 10.09.2008. Call on 10.09.2008.

	53
	2
	26
	12.08
	26
	SB-26
	Jackson Buildwell, V3S Ring Road Mall, at 1B-3, Sector -1o, Rohini.
	16/04/08
	23/10/07
	 
	MCD-206 KLD  GW-NIL  DIS.-70 KLD
	170 crore
	 
	                                               11.07.2008
Ask the unit to submit permission from CGWA for ground water drawl and latest status on EC compliance. Call on 06.08.2008.
	CTE issued. Call in July 2008.
Letter issued.
Reply received.
	Call on 10.09.2008.

	54
	2
	27
	12.08
	27
	SB-27
	Parsvnath Developers Ltd. Plot No 1B2, Twin District Centre, Sector-10, Rohini
	EC obtained on 14.07.2008
	25/02/08
	35287.27 sq m
	MCD-205 KLD   GW-NIL   DIS.-135 KLD
	268.57 crore
	July, 2010
	                                   24.07.2008
The unit came for personal hearing today. It has excavated without Environmental Clearance and Consent to Establish about 26250 cubic meters for the space of three basements which is approx. 1/3rd  of the total construction to be done in terms of 6 floors yet to be taken up. The total waste water generation is 135 KLD and the unit has proposed STP with recycling of waste water facility. The total project cost is Rs. 268 Crores.
The Committee deliberated on the appropriate amount of damages for this unit and concluded that, since three basements related excavation has been done, 1/3rd of the cash penalty of 0.5 % of the project cost and 1/3rd of the Bank Guarantee of 0.5 % of the project cost valid for three years, amounting to Rs. 40 Lakhs each may be levied on the unit. Unit seeks time for 10 days.  If the unit files the Bank Guarantee and damages within 10 days or before 06.08.2008, Consent to Establish may be granted at the same time and action may be confirmed in the CMC on 06.08.2008.
	Cash penalty and BG not yet submitted. Letter submitted by the unit on 31.07.2008..
	Unit reply has been carefully considered by the committee and rejected. Issue a final reminder for submission of damages and Bank Guarantee. Call on 10.09.2008.

	56
	2
	29
	12.08
	28
	SB-29
	Sachdewa Buildcon, Plot No 17, Karkardooma, District Centre, near AGCR Colony, Delhi
	_
	Not applied
	 
	 
	 
	 
	                18.06.2008
The unit has replied in response to the letter of DPCC dated 29.05.2008 indicating that they have started commercial building as per DDA sanction. The unit may be asked to file the following details:
(i) Permission from CGWA for ground water drawl. 
(ii) Waste water generation & its treatment.
(iii) Details of D.G. Sets along with information w.r.t. stack height and acoustic enclosure.
Call on 18.07.2008.
	Letter issued. 
Reply received on 29.07.2008.
	The unit has filed the reply which does not answer the notice. Issue final reminder for appropriate reply. Call on 10.09.2008.

	57
	2
	30
	12.08
	29
	SB-30
	Nippun Builders  & Development (P) Ltd.,  Karkardooma, District Centre, near AGCR Colony, Delhi
	_
	Not applied
	_
	_
	_
	_
	              21.05.2008
Ask the unit to file application for Consent to Establish, a copy of Environmental Clearance, affidavit indicating date of start of construction, date of completion,a copy of  completion certificate, approved architcural drawing, affidavit indicating plot area, built up area, details about waste water discharge and D.G. Sets. Call on 18.06.2008.
                    18.06.2008
The unit has filed CTE wherein he has indicated ground water drawl of 13.5 KLD without any CGWA permission. It also indicates waste water generation of 8.5 KLD without mentioning any treatment of this waste water. It has also shown one D.G. Set with acoustic enclosure but without adequate stack height. Ask the unit to file the details by 18.07.2008.
	Letter issued on 01.07.2008. 
Reply awaited. 
	SIT to inspect and report. Call on 10.09.2008.

	59
	2
	32
	12.08
	30
	SB-32
	Jindal Biochem (P) Ltd., Karkardooma, District Centre, near AGCR Colony, Delhi
	_
	Not applied
	 
	 
	 
	 
	                                     17.04.2008
Issue notice asking the unit to apply for Consent to Establish & submit a copy of Environmental Clearance by 14.05.2008. Take up on 14.05.2008.
                                  21.05.2008
Ask the unit to file application for Consent to Establish, a copy of Environmental Clearance, affidavit indicating date of start of construction, date of completion,a copy of  completion certificate, approved architcural drawing, affidavit indicating plot area, built up area, details about waste water discharge and D.G. Sets. Call on 18.06.2008.
                                     18.06.2008
One of the new Engineer of CMC will visit the area and get the correct address and notice will be reissued by next week. Call on 18.07.2008.
	New Engineer of CMC visited the area and get the correct address. Accordingly, notice reissued at correct address.
Reply received.
	SIT to inspect and report. Call on 10.09.2008.

	61
	2
	34
	12.08
	31
	SB-34
	Aggarwal Prestige Mall, Plot No 2, Road No 44, Facility Centre, Rani Bagh Road, Pitampura
	Built up area : 7324.12 sqm
	24.06.2008
	7324.12
	MCD-25 KLD / GW - 33 KLD / WW - 19.5 KLD (STP)
	36.36 crores
	2005
	                                04.07.2008
The unit appeared for personal hearing today and pleaded for lesser penalty for violation of the Air Act, which it has already committed. The unit will be discharging 25 KLD trade effluent and 20 KLD domestic effluent and it will have three DG Sets.  In view of the pubic compliant received against the unit, the case of the unit was considered by Committee. In view of the fact that it has stopped excavation work on the directions of DPCC, the Committee felt that interests of justice will be met if Bank Guarantee of Rs. 25 Lakhs valid for three years and cash penalty of Rs. 5 Lakhs is imposed on the unit in order to make up the 01 % of the total project cost. Unit has agreed to do so. If, unit complies with these conditions, Consent to Establish may be granted & the closure orders may be revoked.  Call on 18.07.2008.
	As per CMC decision, unit has submitted cash penalty of Rs. 5 Lakh and BG of Rs. 25 Lakhs on 11.07.2008. Accordingy, CTE & revocation of closure directions issued.
Letter received on 21.07.2008 regarding to refund the cash penalty and Bank Guarantee.
	No action.

	67
	2
	40
	12.08
	32
	SB-40
	T. R. Sawhney Heritage Mall,
Secotor - 23, Rohini, 
Delhi - 85
	NA 
	Applied on 21.5.2008
	1190
	8(GW)no permission frim CGWA/ 3(WW)
	4.67Cr.
	 
	                                      28.5.08
The built up area is 1190 sqm and the unit is drawing 8 KLD of water from the ground without permission from CGWA. The unit is also discharging 3 KLD of water with only an oil & grease trap. The unit has also one DG. Set of 125 KVA of which details have not been provided. Unit may be asked to file permission from CGWA for drawing ground water, waste water treatment details and D.G. Sets details. Call on 18.06.2008.
                                     18.06.2008
Issue final reminder on the documents asked for. Call on 18.07.2008
	Letter issued & returned back undelievered. Hence personaly delievered.
Reply received on 16.07.2008..
	SIT to inspect and report. Call on 10.09.2008.

	68
	2
	41
	12.08 SIT
	33
	SB-41
	Amtrac Automotive India Pvt. Ltd. 3A Wazirpur Indl Area, Near Deep Hyundai Service Centre, Delhi-52
	_
	not applied
	18273 sq feet(as reported)
	Borewell
	not reported
	not reported
	                        25.06.2008
SIT to inspect and report by 04.07.2008. Call on 04.07.2008.
	As directed by Chairman, notice were issued and same were returned back undelivered. Notice delivered on 02.06.2008. 
Reply awaited. 
Report of SIT to be discused.
	Due to want of time, SIT report may be submitted administratively by the SIT team for clear decision to be ratified in the next CMC meeting. 

	69
	2
	42
	12.08 SIT
	34
	SB-42
	Commercial cum Multiplex Project by Yogi Raj Promoters Pvt. Ltd. Plot No SU, Sector-22, Rohini
	 
	19.06.2008
	88938.06 sqm
	MCD - 116 KLD / GW - Stand By / WW - 244 KLD
(STP Proposed)
	440 crores
	October, 2008
	                                       28.5.08
Call on 03.06.2008.
                                 25.06.2008
SIT to inspect and report by 18.07.2008. Call on 18.07.2008.
	Inspection report of SIT will be discussed.
	Due to want of time, SIT report may be submitted administratively by the SIT team for clear decision to be ratified in the next CMC meeting. 

	70
	2
	43
	12.08 SIT
	35
	SB-43
	Gold souk mallplot no.1,sharda niketan opp.crescent public school, saraswati vihar
	_
	Not Applied
	Not reported
	MCD-6 KLD (borewell+DJB)  GW-NIL    DIS.-5 KLD  
	not reported
	not reported
	                      25.06.2008
SIT to inspect and report by 18.07.2008. Call on 18.07.2008.
	Inspection report of SIT will be discussed.
	Due to want of time, SIT report may be submitted administratively by the SIT team for clear decision to be ratified in the next CMC meeting. 

	71
	2
	44
	12.08
	36
	SB-44
	Prithvi Sound Products Company (P) Ltd. (KLJ Tower North), Plot No B-5, District Centre, Wazirpur, Delhi
	_
	08.08.2008
	8058.89 sqm
	MCD - 34.7 KLD / GW - Not mentioned / WW - 31 KLD / STP - 40 KLD
	40.01 Cr. 
	2008
	Nil
	Applied for CTE on 08.08.2008 vide I.D. No. 26909.
	SIT to inspect and report. Call on 10.09.2008.

	75
	3
	3
	12.08
	37
	SC-3
	India Coloniser Pvt.Ltd (const. of Commercial Complex at M-6 Plaza NHCC Jasola)
	Area < 20,000 sq. m      
	 Not Applied For Consent to Establish, However had applied for NOC W.R.T EC on 23-05-06
	19650.72 sq m
	MCD-220 KLD     GW-NIL    DIS 38 KLD
	72.18 crore
	 
	                              31.07.2008
The unit came for personal hearing today. It has claimed that the ground water was drawn from the nearby well for the construction purpose only and now the water is utilized only from DJB supply. As regards effluent discharge, the Consent to Establish application shows 38 KLD of trade effluent while the unit claims that the proposed shops and food courts have not been constructed and therefore it is only household sewage which is connected to the DJB sewage line. This fact is being substantiated by the DJB. The unit may be asked to file water monitoring report and noise monitoring of the D.G. Set(s) by 12.08.2008 along with an affidavit. Call on 12.08.2008.
	Letter issued on 07.08.2008
No reply received.
	SIT to inspect and report. Call on 10.09.2008.

	77
	3
	5
	12.08 SIT
	38
	SC-5
	Lifestyle Building Pvt. Ltd. (construction of Commercial Complex at Plot NO 4, Jasola, Delhi
	31/10/2007
	 Not Applied For Consent to Establish, However had applied for NOC W.R.T EC on 13-09-06 . The same has been forwarded to MOEF
	26898.25 sq m
	MCD-192 KLD    GW- NIL   DIS- NIL    STP PROPOSED-100 KLD
	70 CRORE
	 
	                         11.03.2008
Unit has applied for Consent to Establish on 13.09.2006 and Environmental Clearance received on 25.02.2008. It is obvious that unit has started construction before Environmental Clearance was granted. Unit to file an affidavit with date of start of construction and date of completion, approved architectural drawing and completion certificate and itemwise compliance of Environmental Clearance conditions. 
                         17.04.2008
Issue reminder to the unit to file the missing documents by 14.05.2008. Call on 14.05.2008.
                        23.5.08
In view of no response of the unit, issue notice for closure under Air & water Acts. Call on 18.06.2008.
                         18.06.2008
SIT to inspect and report by 18.07.2008.
	Inspection report of SIT will be discussed.
	Due to want of time, SIT report may be submitted administratively by the SIT team for clear decision to be ratified in the next CMC meeting. 

	78
	3
	6
	12.08
	39
	SC-6
	DLF Commercial Developers Ltd (Construction of proposed Commercial & Retail Centre at Plot no 10 & 11 Jasola New Delhi
	16/05/07
	08.02.2007
	28970.78 sq m
	MCD-563 KLD   DIS.-NIL   GW-NIL
	320.63 crore
	JAN. 2008  
	                            23.5.08
SIT to inspect & report on 10 conditions and  on Environmental Clearance conditions. Call on 11.06.2008. 
                            25.06.2008
Call for personal hearing on 25.07.2008 at 7.30 PM.
                            24.07.2008
The unit came for personal hearing today. Since DPCC is required to file its counter affidavit in the Hon’ble High Court in this case, it is in the process of doing so. Call on 12.08.2008.
	Inspection is to be carried out by SIT.
	Ask the unit to correct the deficiencies noted by SIT.  Call on 10.09.2008.

	79
	3
	7
	12.08
	40
	SC-7
	Laxmi Buildtech Pvt Ltd ,Plot no D-1 & P3-A Saket Place
	39784
	24/4/07
	4650 sq m
	MCD-181KLD GW-Nil         Dis-72 KLD
	173.88 Crore
	 
	                                18.06.2008
The unit came for personal hearing and claimed that they are abiding by all the environmental legislations. However, record shows that they started the construction before getting Environmental Clearance and Consent to Establish. In fact, Environmental Clearance was received after 09 months of start of construction. Still they do not have the Consent to Establish. The unit was asked to pay the required cash penalty i.e.  Rs. 50 Lakhs and Bank Guarantee of Rs. 1.2 crores valid for three years after much deliberation by the Committee, to be complied by 30.06.2008. On further insistent requests by the representative of the unit, the cash penalty was further reduced by the Committee to Rs. 40 Lakhs and Bank Guarantee of Rs. 1.3 crores, to be complied by 30.06.2008. Call on 03.07.2008.
	Reply received with regards to P.H dated 18-06-08.
A letter is to be prepared in response to the reply submitted by the project proponent. Also SIT has to inspect the premises.
	Due to want of time, SIT report may be submitted administratively by the SIT team for clear decision to be ratified in the next CMC meeting. 

	83
	3
	11
	12.08 SIT
	41
	SC-11
	Sprit Global Pvt Ltd Commercial Complex Plot no 9 Jasola District Centre
	N A
	16/07/08
	19948.637 sq m
	MCD-151 KLD  GW-bore well proposed  Discharge-45 KLD STP-50KLD capacity
	54.56 crore
	2008
	                            04.07.2008
The unit came for personal hearing today. It claims that it has applied for Environmental Clearance to MOEF. While it is yet to receive approval and has had a couple of hearings in the MOEF. It is, therefore, clear the built up area is more than 20,000 sqm, the unit also admits that about 18,000 sqm out of 20,000 sqm is complete as on today without Environmental Clearance and Consent to Establish. The unit is allowed time upto 31.07.2008 to file Environmental Clearance. In the meantime, SIT to inspect and report by 31.07.2008. Latest status of Environmental Clearance may be cheeked by EIA Trainee from MOEF with due authorization from MS and the CMC will also check it through the internet. 
                                  31.07.2008
SIT to inspect and report on 12.08.2008.
	Letter issued on 03.05.2008
No reply received.
Inspection report of SIT to be discussed.
	Due to want of time, SIT report may be submitted administratively by the SIT team for clear decision to be ratified in the next CMC meeting. 

	84
	3
	12
	12.08
	42
	SC-12
	Amazing Realtors Ltd (Office Complex & Shopping Mall Namely Splendor Forum)Plot no -3, DDA District Centre, Jasola
	Ec accorded by MOEF on 02.11.07. Check form the site of MOEF
	05.09.2007
	22880 sqm
	MCD-150 KLD / GW - Nil / WW - 65 KLD
	65 Cr.
	Oct, 2007
	                  11.03.2008
No action as of now.
                   17.04.2008
Matter is under consultation at the highest levels.
                  28.5.08
Move application through Sh. Prem Kumar, Advocate in the Supreme Court for enforcing the DPCC order and getting Delhi High Court order vacated.  Call on 03.07.2008.
	Unit filed writ before Hon'ble High Court.
Case was heard by the High Court on 04.8.08 and the same has been adjourned on 11.12.2008
	Call on 11.12.2008.

	85
	3
	13
	12.08
	43
	SC-13
	DLF Retail Developers Ltd. (Construction of Shopping Complex named as DLF South Court  at Plot No A1 & P2B, Saket Place, Saket, New Delhi )
	15/01/07
	25/09/07
	34871.72 sq m
	MCD-400 KLD  GW-NIL   DIS-NIL
	245.35 crore
	 
	                           28.5.08
SIT to inspect & report on 10 conditions and  on Environmental Clearance conditions. Call on 11.06.2008.
                           25.06.2008
Call for personal hearing on 31.07.2008 at 5.00 PM 
                               24.07.2008
The unit came for personal hearing today. Since DPCC is required to file its counter affidavit in the Hon’ble High Court in this case, it is in the process of doing so. Call on 12.08.2008.
	Inspection is to be carried out by SIT.
	Due to want of time, SIT report may be submitted administratively by the SIT team for clear decision to be ratified in the next CMC meeting. 

	88
	3
	16
	12.08
	44
	SC-16
	National Building Construction Corporation Ltd (NBCC) Construction of Community Centre  Cum Commercial Complex at Sec-5, Pushp Vihar, New Delhi
	14/3/2007
	29/10/2007
	39169 sq m
	MCD-280 KLD  GW -NIL  DIS- 96000 LPD
	100crore
	 
	                        11.03.2008
Unit may be asked an affidavit indicating date of start of construction and date of completion and approved architectural drawing, , itemwise compliance of Environmentalf Clearance conditions. Case will be taken up in April, 2008 CMC. 
                       17.04.2008
Issue notice to file compliance affidavit of all the conditions of Environmental Clearance with special reference to the conditions of construction phase which is now in operation. Issue reminder seeking missing documents also. Call on 14.05.2008.
                          23.5.08
Issue reminder to MD by MS. Call on 18.06.2008.
                          18.06.2008
MS to remind MD again. Call on 18.07.2008.
	Letter issued on 01.07.2008 by MS.
Reply received on 18.07.2008 alonga with affidavit, architectural drawing and other details.
	SIT to inspect and report. Call on 10.09.2008.

	89
	3
	17
	12.08
	45
	SC-17
	Ansal Plaza , HUDCO Place, Khel Gaon Marg Andrews Ganj, New Delhi-49
	Came up prior to the EIA Notification as gathered from the Internet.
	Not applied for consent to Establish
	 
	 
	 
	 
	                                  24.07.2008
The unit came for personal hearing today and putting the entire responsibility on HUDCO who is their lesser for creation and treatment of 48 KD of waste water. The SIT report indicates built up area is 14,700 sqm with waste water of 48 KLD and without any ETP/STP. It also indicates one D.G. Set without acoustic enclosure. It shows five restaurants in operation with the total seating capacity of 350 odd seats. The two crucial issues of lack of treatment facility of waste water generated by them, and for operating without Consent to Establish for nine years does not appear to be understood by the unit despite repeated clarifications. The unit still wants to take cover of Consent to Establish issued to HUDCO in 2000 which clearly indicates waste water generation of much lesser magnitude than what is done by Ansal Plaza alone.  Therefore, a carefully drafted communication has to be issued to the unit indicating the deficiencies pointed out by SIT, incorporating why the Consent to Establish of HUDCO is not applicable 
in their case and also highlighting the water act clearly indicating that the 
polluter is supposed to treat the polluted water before releasing it in the drain. This 
communication should be in the shape of letter to be sent by 29.07.2008 and must 
ask the unit to file an affidavit in its response within 14 days. Call on 12.08.2008. 
In addition to above, HUDCO’s consent issued in 2000 may be carefully studied and 
put up on file administratively to find out the jurisdiction its cover and the extent of air 
and water emission it covers for itself and it’s constituent 
units, by 12.08.2008. 
	Letter issued to Ansal Plaza on 29.07.2008.
Also letter issued to HUDCO, Indian Oil, Karnataka Bhawan and Habitate Service Centre.
No reply received.
	Final reminder be issued to Ansal Plaza. Call on 10.09.2008.

	95
	3
	23
	12.08
	46
	SC-23
	Regency Park Management Services Private Ltd. at Plot No. 4, Vasant Kunj Mall, Vasant Kunj, Delhi
	24/11/2006
	25/9/2007
	59731.663 sq m
	MCD-287 KLD  GW-nil  DIS-76 KLD
	250 CRORE
	15/7/2008
	                         26.06.2008
A 28 page reply has been received from the unit in response to the notice for closure issued by DPCC.  MS may draft an appropriate counter to all the points raised by the units and then submit to CMC on 04.07.2008 for taking a decision in this case. 
                          24.07.2008
The unit came for personal hearing today. Since DPCC is required to file its counter affidavit in the Hon’ble High Court in this case, it is in the process of doing so. Call on 12.08.2008.
	The unit filed a writ before Hon'ble High Court. 
Counter affidavit filed.
Next date of hearing is 19.09.2008.
	The unit came for personal hearing today and explained that since the matter is sub-judice, the mater should be taken up in the Court. MS, DPCC  has objected to this and since there is no stay in the matter. MS, DPCC feels that in the interest of comprehensive order, air, water & noise monitoring report must be undertaken before any further decision is taken. Let DPCC do the air, water & noise monitoring in the next 15 days. Call on 03.09.2008.

	96
	3
	24
	12.08
	47
	SC-24
	Eros Metro Mall, Sec-14, Dwarka , New Delhi
	Area < 20,000 sq. m      
	02.05.2008
	14491.761 sq m
	MCD-105 KLD  GW-NIL   DIS- 48 KLD
	132.68 crore
	2010
	                                25.06.2008
This case was taken up as a table agenda because of the personal appearance of Sh. Deepak Gupta, General Manger - Commercial. The unit has filed application saying that as regard the excavation plan, they will use 55,00 cubic meter of earth for back filling and rest will be shifted from the site. As regard the building plans approval, it is yet to be received from DDA. The unit admits that it has excavated earth to the extent of approx. 19,584 cubic meters.  The unit pleaded for leniency of the cash penalty in view of the fact that it had not done any construction but only excavation work. The Committee deliberated on this issue and decided that a final figure of cash penalty of Rs. 50 Lakhs and Bank Guarantee of Rs. 50 Lakhs would be appropriate. The unit can now file the letter of agreement in this regard by 03.07.2008 and submit the same as early as possible to get its Consent to Establish but not later than 18.07.2008.  Call on 04.07.2008.
	Reply received on 03.07.2008 with regards to personal hearing dated 25.06.2008 stating his inability to pay cash penalty & BG of Rs. 50 Lakhs respectively.
Also, a reply received on 18.07.208.
	Call for personal hearing on 10.09.2008, at 06.30 PM.

	97
	3
	25
	12.08 SIT
	48
	SC-25
	Manish Buildwell Pvt. Ltd., Plot No 2, LSC, Sec-22 Dwarka , New Delhi
	Built up area : 8485.75 sqm
	24.06.2008
	8485.75 sqm
	MCD- 73 KLD / WW-57 KLD (STP)
	66,94,71,101 crores
	2010
	                      11.03.2008
Unit may be asked to file the following four things : 
1. Consent to Establish.
2. Affidavit indicating date of start of construction and completion of construction.
3. Approved architectural drawing.
4. Completion certificate.
Case will be taken up in April, 2008 CMC. 
                       17.04.2008
Issue final reminder to the unit to file the missing documents by 14.05.2008. Call on 14.05.2008.
                  23.5.08
Issue notice for closure. Call on 18.06.2008.
                       18.06.2008
SIT to inspect and report. Call on 18.07.2008
	Inspection report of SIT will be discussed.
	Due to want of time, SIT report may be submitted administratively by the SIT team for clear decision to be ratified in the next CMC meeting. 

	98
	3
	26
	12.08 SIT
	49
	SC-26
	Vardhman Group, Sec-7 Dwarka, New Delhi
	Name not included in the list of Ecs accorded/pending with MOEF(as provided by MOEF)
	Not applied for consent to Establish
	 
	 
	 
	 
	                           29.5.08
In  04 Vardhman cases, 3 projects in Dwaraka and one project in Motia Khan, the Committee is of the view that the units have gone to the Court with unclean hands and managed to get stay. DPCC through SIT must get the fresh inspection done focusing on whether the projects fall within the notification of 07.07.2004 with reference to the project investment (b) waste water discharge of 50 KLD as building plans were sanctioned on 22.02.2005, 04.08.2005, 15.02.2005 & 25.11.2003 and the construction has already been completed on 09.11.2006, 25.06.2007 on plot of Sector-7 & 19 and occupancy certificate from DDA for sector-23 is dated 04.12.2006. The earlier inspection reports have not been signed at the site by the official present of the project proponents. Therefore, SIT inspection may be conducted on the above said points. Inform CMC of ATR on 03.7.08.
	Inspection report of SIT will be discussed.
File in with Legal Cell for taking necessary action at their end.
	Due to want of time, SIT report may be submitted administratively by the SIT team for clear decision to be ratified in the next CMC meeting. 

	99
	3
	27
	12.08 SIT
	50
	SC-27
	Vardhman Group, Sec-19 Dwarka, New Delhi
	Name not included in the list of Ecs accorded/pending with MOEF(as provided by MOEF)
	Not applied for consent to Establish
	 
	 
	 
	 
	                               29.5.08
In  04 Vardhman cases, 3 projects in Dwaraka and one project in Motia Khan, the Committee is of the view that the units have gone to the Court with unclean hands and managed to get stay. DPCC through SIT must get the fresh inspection done focusing on whether the projects fall within the notification of 07.07.2004 with reference to the project investment (b) waste water discharge of 50 KLD as building plans were sanctioned on 22.02.2005, 04.08.2005, 15.02.2005 & 25.11.2003 and the construction has already been completed on 09.11.2006, 25.06.2007 on plot of Sector-7 & 19 and occupancy certificate from DDA for sector-23 is dated 04.12.2006. The earlier inspection reports have not been signed at the site by the official present of the project proponents. Therefore, SIT inspection may be conducted on the above said points. Inform CMC of ATR on 03.7.08.
	Inspection report of SIT will be discussed.
File in with Legal Cell for taking necessary action at their end.
	Due to want of time, SIT report may be submitted administratively by the SIT team for clear decision to be ratified in the next CMC meeting. 

	100
	3
	28
	12.08 SIT
	51
	SC-28
	Vardhman Group, Sec-23 Dwarka, New Delhi
	Name not included in the list of Ecs accorded/pending with MOEF(as provided by MOEF)
	Not applied for consent to Establish
	 
	 
	 
	 
	                     29.5.08
In  04 Vardhman cases, 3 projects in Dwaraka and one project in Motia Khan, the Committee is of the view that the units have gone to the Court with unclean hands and managed to get stay. DPCC through SIT must get the fresh inspection done focusing on whether the projects fall within the notification of 07.07.2004 with reference to the project investment (b) waste water discharge of 50 KLD as building plans were sanctioned on 22.02.2005, 04.08.2005, 15.02.2005 & 25.11.2003 and the construction has already been completed on 09.11.2006, 25.06.2007 on plot of Sector-7 & 19 and occupancy certificate from DDA for sector-23 is dated 04.12.2006. The earlier inspection reports have not been signed at the site by the official present of the project proponents. Therefore, SIT inspection may be conducted on the above said points. Inform CMC of ATR on 03.7.08.
	Inspection report of SIT will be discussed.
File in with Legal Cell for taking necessary action at their end.
	Due to want of time, SIT report may be submitted administratively by the SIT team for clear decision to be ratified in the next CMC meeting. 

	104
	3
	32
	12.08
	52
	SC-32
	H.l Group, Sec-11, Dwarka , New Delhi
	Name not included in the list of Ecs accorded/pending with MOEF(as provided by MOEF)
	Not applied for consent to Establish
	 
	 
	 
	 
	                              23.5.08
Call for personal hearing on 18.06.2008 at 5.00 PM.
                              18.06.2008
The unit is not very clear about the total quantity of water drawn and the total quantity of waste water that will be generated. This data may be provided to the Committee by 18.07.2008. Data on D.G. Set to be installed with acoustic enclosure and stack height may also be asked for. 
	Letter isued on 01.07.2008 as decided in the hearing on 18.06.2008.
Reply received on 17.07.2008.
	SIT to inspect and report. Call on 10.09.2008.

	105
	3
	33
	12.08 SIT
	53
	SC-33
	Parsvnath Developers Ltd in construction with M/s OCL Ltd Commercial Complex at Seelampur Metro
	Name not included in the list of Ecs accorded/pending with MOEF(as provided by MOEF)
	18/3/2008
	89342 sq m
	MCD-      GW-NIL  DIS-344 cu.m
	120.33 crore
	proposed
	                      11.03.2008
Issue final letter. Unit has not filed Environmental Clearance and Consent to Establish. Unit may be asked to file the following five things : 
1. Consent to Establish.
2. Environmental Clearance.
3. Affidavit indicating date of start of construction and completion of construction.
4. Approved architectural drawing.
5. Completion certificate.
Case will be taken up in April, 2008 CMC. 
                       17.04.2008
Issue final reminder to the unit to file the missing documents by 14.05.2008. Call on 14.05.2008.
                    23.5.08
Call for personal hearing on 18.06.2008 at 5.30 PM.
                         18.06.2008
The unit came for personal hearing today. Since Consent to Establish and Environmental Clearance have been filed and no construction has been started, case may be taken up on 18.07.2008. Meanwhile SIT to inspect and report. Call on 18.07.2008.
	Inspection report of SIT will be discussed.
	Due to want of time, SIT report may be submitted administratively by the SIT team for clear decision to be ratified in the next CMC meeting. 

	106
	3
	34
	12.08
	54
	SC-34
	Parvsanath Developers Ltd Commercial Project At Welcome Metro Station
	Pending with MOEF check from site of MOEF.
	39329
	371178 sq m
	MCD- 517 KLD     GW-NIL  DIS-133 KLD 
	80 crore
	2008
	                             30.04.2008
The unit was asked in the last CMC meeting to submit documentary proof of extent of construction. Instead of that unit has filed a certificate from Charted Accountant stating that Rs. 14.6 Crores worth of expenditure has been incurred. CMC cannot decide and give relief on account of expenditure incurred when the unit had clearly admitted that 40 % of the construction has been completed.  In view of the above, the earlier order of CMC dated 11.04.2008 is reiterated and the formal letter may be issued to the unit by tomorrow without waiting for the minutes for compliance by 14.05.2008.
                               28.5.08
The unit has been issued CTE on the basis of the CMC decision of 30.04.2008 wherein it was decided that CTE will be issued to the unit if it pays the cash penalty & Bank Guarantee. This has been done and CTE was issued. Unit be asked to file compliance of Environmental Clearance conditions through an affidavit by 01.07.2008 & 01.01.2009. Call on 03.07.2008.                          
     
	Letter isued on 06-06-08 
Reply received on 25-06-08 with regards to compliance  of EC condition. But it is not proper.
	SIT to inspect and report. Call on 10.09.2008.

	107
	3
	35
	12.08 SIT
	55
	SC-35
	Parsvnath Developers Ltd in construction with M/s OCL Ltd Construction of Commercial Complex at Shahdara Metro
	 
	Not applied for consent to Establish
	 
	 
	 
	 
	                       11.03.2008
Issue final letter. Unit has not filed Environmental Clearance and Consent to Establish. Unit may be asked to file the following five things : 
1. Consent to Establish.
2. Environmental Clearance.
3. Affidavit indicating date of start of construction and completion of construction.
4. Approved architectural drawing.
5. Completion certificate.
Case will be taken up in April, 2008 CMC. 
                           17.04.2008

Issue final reminder to the unit to file the missing documents by 14.05.2008. Call on 14.05.2008.
                         23.5.08
Issue notice for closure. Call on 18.06.2008.
                         18.06.2008
SIT to inspect and report. Call on 18.07.2008
	Inspection report of SIT will be discussed.
	Due to want of time, SIT report may be submitted administratively by the SIT team for clear decision to be ratified in the next CMC meeting. 

	109
	3
	37
	12.08
	56
	SC-37
	Construction of commercial building at Plot No 1, City Centre, Sector-13, Dwarka by M/s Nettles Farms Pvt. Ltd. 
	EC not submitted. 
	13/05/2008
	44005.4 sq m
	MCD-9 KLD   GW-168 KLD   DIS-68 KLD     
	296.84 crore
	 
	                              18.06.2008
The unit came for personal hearing today. It is yet to receive the Environmental Clearance and has applied for Consent to Establish. As advised by MOEF, the unit has stopped the excavation work after reaching the three basement levels. The unit has verbally assured that total project cost is Rs. 296 crore and it is willing to file a cash penalty of Rs. 75 Lakhs and the remaining amount of Rs. 2.2 crores by way of Bank Guarantee  by 30.06.2008.  The unit also says that since it requires Board approval, a formal letter will be filed by 20.06.2008.

If the letter in compliance is filed by 20.06.2008 and the compliance is done by 30th June, 2008, file may be moved administratively for confirmation. Call on 03.07.2008.
	Unit has submitted BG of Rs. 2.2 crores & cash penalty of Rs. 75 Lakhs.
CTE issued on 08.07.2008.
	No action.


