Minutes of the 156th meeting of the Committee Constituted for Deciding the Consent under Orange Category, held on 13.01.2011 in the Conference Room of Chairman, DPCC.

   The following persons attended the meeting:

Sh. Dharmendra, Chairman, DPCC

Dr. A.K.Ambasht, Member Secretary, DPCC

Prof. S. K. Gupta, IIT-Delhi

Sh. B. Kumar, SEE, DPCC. 

EEs of CMC –  I, II, III & IV.


AEEs of CMC – I, II, III & IV.


Sh. M. Dwarakanth, SSO, Dept. of Env., GNCTD could not attend the meeting.

Following are the minutes of the meeting:- 

Agenda Item No. 1-  Personal Hearing of (i) M/s Sonia Theater Pvt. Ltd., (ii) M/s PVR Ltd. PVR Cinema (iii) M/s Mc Donald’s Family Restaurant (iv) M/s Domino’s (v) Papa Johns, Sonia Cinema Complex, G-1, Community Centre, Vikaspuri, New Delhi-110018.  

Nobody appeared for the personal hearing except the representatives of M/s Mc Donald’s Family Restaurant. Issue Show Cause Notices for closure to all for non compliance of CMC’s decisions for installation of waste water treatment facilities. 

Agenda Item No. 2-  Consent to Operate/ Renewal cases under Orange category  w.e.f. 11.08.2009 (in reverse chronology) excluding the cases of industrial areas / redevelopment areas considered by Scrutinizing Committee on 30.11.2010 / 01.12.2010.  

Decisions recommended with respect to this agenda are tabulated and annexed as Annexure – 1. 

Agenda Item No. 3-  Two Table Agendas considered by Scrutinizing Committee on 30.11.2010 / 01.12.2010.  

Decisions recommended with respect to this agenda are tabulated and annexed as Annexure – 2. 

Agenda Item No. 4-  Fresh Consent to Operate/ Renewal cases under Orange category  w.e.f. 01.09.2010 considered by Scrutinizing Committee on 09.12.2010. 

This agenda could not be taken up by the Committee, due to paucity of time, and it was decided to take up the same in the next meeting.

Agenda Item No. 5- Inspection conducted in compliance of earlier CMC's decisions considered by Scrutinizing Committee on 09.12.2010. 

This agenda could not be taken up by the Committee, due to paucity of time, and it was decided to take up the same in the next meeting.

Agenda Item No. 6- 07 Table Agendas considered by Scrutinizing Committee on 09.12.2010. 

Decisions recommended with respect to this agenda are tabulated and annexed as Annexure – 3. 

Agenda Item No. 7-  Fresh Consent to Establish cases under Orange category  w.e.f. 18.10.2010 excluding the cases of redevelopment areas considered by Scrutinizing Committee on 06.01.2011. 

This agenda could not be taken up by the Committee, due to paucity of time, and it was decided to take up the same in the next meeting.

Agenda Item No. 8- Fresh Consent to Operate/ Renewal cases under Orange category w.e.f. 01.10.2010 excluding the cases of redevelopment areas considered by Scrutinizing Committee on 06.01.2011.
This agenda could not be taken up by the Committee, due to paucity of time, and it was decided to take up the same in the next meeting.

Agenda Item No. 9- Cases processed administratively for putting up in CMC considered by Scrutinizing Committee on 06.01.2011.
This agenda could not be taken up by the Committee, due to paucity of time, and it was decided to take up the same in the next meeting.

Agenda Item No. 10- Inspection conducted in compliance of earlier CMC's decisions considered by Scrutinizing Committee on 06.01.2011.
This agenda could not be taken up by the Committee, due to paucity of time, and it was decided to take up the same in the next meeting.

Agenda Item No. 11- Units engaged in the activities which fall in Negative List as per MPD-2021.

Decisions recommended with respect to this agenda are tabulated and annexed as Annexure – 4. 

Table Agenda Item No 1:- M/s Standard Enamel, D-40, SMA Industrial Area, Delhi
 Inspection be conducted to check whether mfg. of nitro cellulose paint is being carried out or not in this unit. If it does not exist, renewal of consent be granted.
Table Agenda Item No 2 :- M/s India Habitat Centre, Lodhi Raod, New Delhi

Issue consent to operate.

Table Agenda Item No 3:- M/s Delhi International Airport (P) Ltd., Uddan Bhawan Terminal 1-B, Indira Gandhi International Airport. Delhi (160 TPH HMT).

Issue consent to operate valid upto till 30.06.2011. 

Table Agenda Item No 4:- M/s Punjab Steel Works, B-38, Phase-I, Mayapuri Industrial Area, New Delhi-110064 

Decision taken on file for temporary revocation of the closure already issued with the approval of Chairman, DPCC ratified. Issue revocation of closure directions u/s 31(A) of the Air Act without waiting for the minutes in view of the compliance submitted.
Table Agenda Item No 5 :- M/s Penguine Farms Pvt. Ltd., Kh. No 423, 424/Min, 421/Min, 422, 417/1/Min, Village Ghitroni, M.G. Road, New Delhi. 

Issue consent to establish. Subsequently, inspection be conducted. 

Table Agenda Item No 6:- M/s Servonix India Pvt. Ltd., S-43, FIE, Phase-II, Okhla Industrial Area, New Delhi-110020

Inspection be conducted.
Table Agenda Item No 7:- M/s Sophistica Industries Pvt. Ltd., Y1/Y2, Phase-II, Okhla Industrial Area, New Delhi-110020

Ask the unit to submit adequacy report from empanelled consultant of DPCC. If unit submits the adequacy report, consent to establish be issued. 

Table Agenda Item No 8:- M/s Magic Communications, C-44/4, 1st Floor, Phase-II, Okhla Industrial Area, New Delhi-110020.

Ask the unit to submit Bank Guarantee of Rs. 50,000 under Air Act valid for one year. If unit submits the Bank Guarantee, consent to establish be issued. 
Table Agenda Item No 9:- M/s Welbeck Pharmaceuticals Pvt. Ltd. D-10/5, Phase-II, Okhla industrial Area, New Dlehi-20

Decision taken on file ratified.

Table Agenda Item No 10 :- M/s Shivam Foods Private Limited, B-91, Phase-II, Okhla Industrial Area, New Delhi-110020

Decision taken on file ratified.

Table Agenda Item No 11:- M/s Parangat Offset Pvt. Ltd., C-62/4, Phase-II, Okhla Industrial Area, New Delhi-110020

Decision taken on file ratified.

Table Agenda Item No 12:- M/s Neeta’s Creations, D-5/2, Phase-II, Okhla Industrial Area, New Delhi-110020

Decision taken on file ratified.

Table Agenda Item No 13:- M/s Vivek Automobiles Limited, A-1, Mohan Co-operative Industrial Area, New Delhi.

Decision taken on file ratified.

Table Agenda Item No 14:- M/s Kenneth Builders and Developers Pvt. Ltd., East Side of Anand Mai Marg, Tehkhand, Okhla. New Delhi 

In view of court cases legal opinion may be taken. 

Meeting ended with thanks to the chair.

Annexure No 4 

Agenda Item No. 11- Units engaged in the activities which fall in Negative List as per MPD-2021.

Recommendations of the Scrutinizing Committee on 06.01.2011

The matter of units listed in negative category was discussed in the Scrutinizing Committee and it was recommended that this matter be put up before CMC(Orange) to take further action. In the meanwhile, all the CMCs shall prepare the list of all such units in their jurisdiction. 

Decision of Consent Management Committee (Orange) on 13.01.2011.

CMCs / PGRC to prepare the list of all such units for issuance of refusal and revocation of consent. The list so prepared be forwarded MCD & DDA and copy to Industries Department for necessary action as per MPD-2021. Inform to Enquiry Counter not to receive consent applications from such units listed in the negative list of the MPD-2021. 
	Sl. No 
	ID No
	appl_dt
	firm_name
	firm_address
	area_name
	Category
	Details of the case
	Quantity of Ground water extraction
	Activity/ Product
	Earlier CMC Decisions  
	ATR / Remarks
	Recommendations of Scrutinizing Committee on 30.11.2010 / 01.12.2010
	Decision recommended by CMC(Orange) on 13.01.2011

	1
	31046
	10-08-2009
	CREST INN (A UNIT OF MPA HOSPITALITY PVT LTD.)
	4/27, WEA, SARASWATI MARG, KAROL BAGH, NEW DLEHI
	NC-C
	OPERATE
	BUA :  218 sq mt
CTE : pending, applied on 11.06.08 vide id no. 26030
EC : NA
ED & BG : NA.
Water Consumption : 4KLD as per application & 3 KLD as per affidavit.
Waste Water generation : 
(a) Domestic effluent: 3KLD
(b) Trade effluent: NIL
Date of Commissioning: 11.06.2008
ETP :  No .
STP :  No. 
Test Report (Water) within limit : NA.
Test Report (Air) within limit : Yes. 
NMR submitted : Yes.
Inspection conducted on : 29.04.09 by SIT
Proof of Conformity : MCD License & Delhi Police License
	NIL
	Guest house (24 rooms)
	            16.03.2009
SIT-II to inspect and report. Call on 29.04.2009.
               11.05.2009
Call for personal hearing on 12.06.2009 at 5.15 PM.
                12.06.2009
The unit came for personal hearing today. As per SIT report, borewell is existing at the premises and the unit is running a guest house. Unit be asked to submit permission from DJB for ground water extraction and apply for Consent to Operate. Call on 05.08.2009.
                16.04.2010
Ask the unit to submit valid MCD and Delhi Police licences.
	1. DG Set: 125 KVA
2. NMR submitted on 19.11.2008
3. 24 Rooms available.
4. GW : NIL
5. CTE applied on 11.06.08 vd id no. 26030. 
6. Matter subjudice.

Reply received on 09.06.10 along with receipt informing that they have applied for renewal of licence to MCD(Health Deptt.) and Delhi Police. 
	Ask the unit to submit the valid MCD and Delhi Police licences and to install waste water treatment plant to treat the entire waste water and achieve the effluent standard as per new notification. Inform to DJB in view of the existence of the borewell found during inspection. 
	File be put up administratively. 

	2
	31015
	04-08-2009
	QUTAB SERVICE STATION
	OPPOSITE STC & MMTC COLONY, MEHRAULI ROAD
	NC-S
	RENEWAL
	BUA :  Not Mentioned
CTE : Not required.
EC : n/a
ED & BG :  NA.
Water Consumption : 2300 lt/d
Waste Water generation : 
(a) Domestic effluent: 300 lt/d on application form & 250 lt/d on an affidavit.
(b) Trade effluent: 1800-2300 lt/d on application form & 1500- 2000 lt/d on an affidavit. 
Date of Commissioning: 1971 
ETP : Yes 
STP :  No. 
Test Report (Water) within limit : Yes 
Test Report (Air) within limit : NA. 
NMR submitted : Yes 
Inspection conducted on : no
Proof of Conformity : Dealership aggrement submitted.
	2000 lt/d
	Petrol Pump Cum  Service Station
	 
	1. DG Set: 50 KVA, NMR dt. 29.07.09 submitted.
2. GW : 2000 lt/d CWGA/ DJB clearence not submitted.
3. CTR valid upto 21.08.06 vd CNO no. 7651 and CTR obtained and valid upto 21.08.09 vide CNO 17039.
4. Adequacy report of ETP dt. 22.07.09 & effluent analysis report dt. 24.02.09.
	Recommended for grant of renewal of consent. Ask the unit to apply for fresh authorization under HWM Rules. Inform to DJB regarding ground water extraction. 
	Issue  renewal of consent. Ask the unit to apply for fresh authorization under HWM Rules. Inform to DJB regarding ground water extraction. 

	3
	31014
	04-08-2009
	CHANAKYA PURI SERVICE STATION
	OUTER RING ROAD, MEERA BAGH, PASCHIM VIHAR
	NC-W
	OPERATE
	BUA :  1050 sqm
CTE : Issued on 17.02.2010 valid upto 16.02.2011.
EC : N/A
ED & BG :  NA.
Water Consumption :3.8 KLD
Waste Water generation : 
(a) Domestic effluent: 600 LPD
(b) Trade effluent: 2.2 KLD
Date of Commissioning: Oct, 2007
ETP : Yes 
STP :  No. 
Test Report (Water) within limit : Yes 
Test Report (Air) within limit : Yes
NMR submitted : dated  01.07.2009, D.G. Set of 62.5 KVA
Inspection conducted on : no
Proof of Conformity : MCD licence
	0.3 KLD
	Car repair & service station
	Decision on 20.03.09
Ask the unit to apply for consent to operate, authorization under HWM Rules, submit affidaviot about source of water supply, for installation of ETP and for non installation of DG Set.Call on 29.04.09.
Decision on 11.05.09
Issue final remider for full complaince of earlier CMC decision.Call on 24.06.09
Decision on 24.06.09
Time allowed for one month.Call on 26.08.09
Decision on 21.01.2010
Valid dealaership agreement available in CTO file. Issue CTE
	Applied for authorization under HWM Rules on 09.04.2009
	Recommended for grant of consent to operate. Ask the unit to apply for fresh authorization under HWM Rules. Inform to DJB regarding ground water extraction. 
	Issue consent to operate. Ask the unit to apply for fresh authorization under HWM Rules. Inform to DJB regarding ground water extraction. 

	4
	30910
	28-07-2009
	DELHI TRANSPORT CORPORATION
	VASANT VIHAR DEPOT
	NC-SW
	RENEWAL
	BUA :  2561.50 sqm.
CTE : not applied
EC : not applicable
ED & BG :  NA.
Water Consumption :10 KLD
Waste Water generation : 
(a) Domestic effluent: 02 KLD
(b) Trade effluent: 08 KLD
Date of Commissioning:April 1976 
ETP : Yes
STP :  No. 
Test Report (Water) within limit : Yes.
Test Report (Air) within limit :  NA. 
NMR submitted :  NA.
Inspection conducted: No
Proof of Conformity : Yes
	10 KLD
	Repair and maintenance of CNG buses
	 
	Earlier CTO issued valid upto 12.11.2005.
CTR issued valid upto 10.05.2009.
Autorization under hazardous waste granted on 15.07.2004.
	Recommended for grant of renewal of consent. Ask the unit to apply for fresh authorization under HWM Rules. Inform to DJB regarding ground water extraction. 
	Issue  renewal of consent. Ask the unit to apply for fresh authorization under HWM Rules. Inform to DJB regarding ground water extraction. 

	5
	30892
	28-07-2009
	BIKANER SWEET CENTRE
	PLOT NO D-6,9,6926/160, JAIPURIA MILL COMPOUND, CHANDRAWAL ROAD, CLOCK TOWER
	NC-N
	RENEWAL
	BUA :  140sqm 
CTE : Not Applied
EC : NA
ED & BG : NA.
Water Consumption :500-600lpd
Waste Water generation : 
(a) Domestic effluent: 100-200lpd
(b) Trade effluent: 300lpd
Date of Commissioning: 1977
ETP : Yes
STP :  No. 
Test Report (Water) within limit : Yes 
Test Report (Air) within limit : Yes  
NMR submitted : Yes 
Inspection conducted on :NA 
Proof of Conformity : Not Provided
	NIL
	Mfg. of Sweets and Namkeen
	 
	CTO issued on 14/01/2004 and valid upto 25.07.2005
Applied for CTR on 19.07.2005
Applied for CTR on  28.307.2009
SCN for Refusal issued on 19.06.2006 vide aId no. 15243
	Ask the unit to apply for consent to establish along with the valid MCD and Delhi Police licences. Inspection and sampling of treated waste water may also be done.
	Ask the unit to submit valid MCD and Delhi Police licences. Inspection and sampling of treated waste water may also be done.

	6
	30789
	21-07-2009
	THE METROPOLITAN HOTEL NIKKO ( A UNIT OF SUNAIR HOTEL)
	BANGLA SAHIB ROAD
	NC-ND
	RENEWAL
	BUA :  22000 sq.m
CTE : 
EC : 
ED & BG : Submitted / Not submitted / NA.
Water Consumption :462KLD
Waste Water generation : 
(a) Domestic effluent: 260KLD
(b) Trade effluent: 150 KLD
Date of Commissioning: 2000
ETP : Yes 
STP :  No. 
Test Report (Water) within limit : Yes
Test Report (Air) within limit : Yes . 
NMR submitted : Yes 
Inspection conducted on : 
Proof of Conformity : Five star hotel
	312 KLD
	 Five star Hotel
	 
	D G set:2*1000 KVA with stach height15 m above roof of building.
AR of ETP Submitted on July 2009.
CTR valid upto 09.06.2009.
	The unit must use the treated waste water for the entire cooling requirement so that fresh water is conserved and treated waste water get optimally utilized. Ask the unit to submit a feasibility report for installation of Sewage Treatment Plant(STP) for treating the entire waste water and for installation of recycling system for reuse of treated waste water in the cooling tower, toilet flushing, horticulture etc. supported by a water mass balance chart. Unit is also required to submit a fresh effluent analysis report with complete parameters as per new notification from approved laboratory of DPCC. Also unit may be asked to install Solar Water Heating system and ensure use of CFL, BEE labeled equipments to conserve the energy. Inform to DJB regarding ground water extraction. 
	The unit must use the treated waste water for the entire cooling requirement so that fresh water is conserved and treated waste water get optimally utilized. Ask the unit to submit a feasibility report for installation of Sewage Treatment Plant(STP) for treating the entire waste water and for installation of recycling system for reuse of treated waste water in the cooling tower, toilet flushing, horticulture etc. supported by a water mass balance chart. Unit is also required to submit a fresh effluent analysis report with complete parameters as per new notification from approved laboratory of DPCC. Also unit may be asked to install Solar Water Heating system and ensure use of CFL, BEE labeled equipments to conserve the energy. Inform to DJB regarding ground water extraction. 

	7
	30740
	16-07-2009
	HOTEL SAMRAT
	50B, CHANAKYAPURI
	NC-ND
	RENEWAL
	BUA :  26370 sq.m
CTE : 
EC : No
ED & BG : Submitted / Not submitted / NA.
Water Consumption :700 KLD
Waste Water generation : 
(a) Domestic effluent: nil
(b) Trade effluent: 60 KLD
Date of Commissioning: 1982
ETP : Yes.
STP : Yes / No. 
Test Report (Water) within limit : Yes
Test Report (Air) within limit : Yes 
NMR submitted : Yes
Inspection conducted on : 27.08.2004
Proof of Conformity : Five star hotel
	300KLD
	Hotel Industry
	 
	D G set: 1*1510 KVA,1*50 KVA with stack height of 8m and 2.5m above the roof of building. 
AR of ETP submitted : September 2005
CTO granted and valid upto 21.09.2008.
	Ask the unit to apply for consent to establish. The unit must use the treated waste water for the entire cooling requirement so that fresh water is conserved and treated waste water get optimally utilized. Ask the unit to submit a feasibility report for installation of Sewage Treatment Plant(STP) for treating the entire waste water and for installation of recycling system for reuse of treated waste water in the cooling tower, toilet flushing, horticulture etc. supported by a water mass balance chart. Unit is also required to submit the status of obtaining the ISO 14001 certification, a fresh effluent analysis report with complete parameters as per new notification from approved laboratory of DPCC. Also unit may be asked to install Solar Water Heating system and ensure use of CFL, BEE labeled equipments to conserve the energy and submit stack monitoring for the D.G. Set of more than 1000 KVA to substantiate the compliance of gazette notification dated 09.07.2002 from approved laboratory of DPCC. Inform to DJB regarding ground water extraction. 
	The unit must use the treated waste water for the entire cooling requirement so that fresh water is conserved and treated waste water get optimally utilized. Ask the unit to submit a feasibility report for installation of Sewage Treatment Plant(STP) for treating the entire waste water and for installation of recycling system for reuse of treated waste water in the cooling tower, toilet flushing, horticulture etc. supported by a water mass balance chart. Unit is also required to submit the status of obtaining the ISO 14001 certification, a fresh effluent analysis report with complete parameters as per new notification from approved laboratory of DPCC. Also unit may be asked to install Solar Water Heating system and ensure use of CFL, BEE labeled equipments to conserve the energy and submit stack monitoring for the D.G. Set of more than 1000 KVA to substantiate the compliance of gazette notification dated 09.07.2002 from approved laboratory of DPCC. Inform to DJB regarding ground water extraction. 

	8
	30652
	10-07-2009
	INDIAN OIL CORPORATION LIMITED
	LPG BOTTLING PLANT, MADANPUR KHADAR
	NC-S
	RENEWAL
	BUA :  32 Acre
CTE : Not required
EC : NA
ED & BG : NA.
Water Consumption : 20KLD on application & 15 KLD on affidavit
Waste Water generation : 
(a) Domestic effluent: 5KLD
(b) Trade effluent: NIL
Date of Commissioning: feb, 1996
ETP : NA (Septic tank)
STP : No. 
Test Report (Water) within limit : NA.
Test Report (Air) within limit : Yes  
NMR submitted : Yes
Inspection conducted on :28.10.06
Proof of Conformity : Not submitted.
	20KLD
	LPG Botteling
	10.11.06
Consent to Operate (Renewal) granted.
	1. DG Set: 500KVA, 250 KVA & 625 KVA, NMR submitted on 10.07.08.
3. GW : 2OKLD
4. CTO valid upto 16.09.2000 vd CNO no. 38 &  CTR obtained & valid upto 12.07.09
5. Applied for HWM Authorization on 02.03.10 vd id no 0032.
	Recommended for grant of renewal of consent and authorization under HWM Rules. Inform to DJB regarding ground water extraction. 
	Issue renewal of consent and authorization under HWM Rules. Inform to DJB regarding ground water extraction. 

	9
	30624
	09-07-2009
	VEEJAY SERVICE STATION
	KALIDAS MARG, OPP. VAISHNO DEVI MANDIR, SHASTRI NAGAR
	NC-N
	OPERATE
	BUA :  112sq.m
CTE : yes
EC : NA
ED & BG :  NA.
Water Consumption :2350LPD
Waste Water generation : 
(a) Domestic effluent: 300LPD
(b) Trade effluent: 1600LPD
Date of Commissioning: June, 2009
ETP : Yes 
STP : No
Test Report (Water) within limit : Yes 
Test Report (Air) within limit :  Not submited
NMR submitted : Yes 
Inspection conducted on : NA
Proof of Conformity : NA
	2350lpd
	Vehicles servicing (car washing).
	 
	CTE issued on 31.08.2010 & valid til 30.08.2011
CTO applied on 09.07.2009.
	Recommended for grant of consent to operate. Ask the unit to apply for fresh authorization under HWM Rules. Inform to DJB regarding ground water extraction. 
	Issue consent to operate. Ask the unit to apply for fresh authorization under HWM Rules. Inform to DJB regarding ground water extraction. 

	10
	30566
	03-07-2009
	DCM LIMITED
	PLAZA 3, MANOHAR LAL KHURANA MARG, BARA HINDU RAO
	NC-C
	OPERATE
	BUA :  31649 sqm
CTE : Obtained. 
EC : Obtained.
ED & BG : Submitted.
Water Consumption : 206 KLD
Waste Water generation : 
(a) Domestic effluent: 206 KLD
(b) Trade effluent: NIl
Date of Commissioning: June, 2009
STP : Yes 
Test Report (Water) within limit : Not submitted
Test Report (Air) within limit : Not submitted.
NMR submitted : Not submitted. 
	 
	 
	                          24.11.2008
SIT  report deficiencies be communicated for correction.  For the block which is near completion, ask the unit to apply for Consent to Operate  if it intends to start the operation of the same. Call on 07.01.2009.
                            07.01.2009
Call on18.02.2009 for full compliance of SIT deficiencies report. 
                               20.02.2009
Issue reminder. Call on 25.03.2009
                              25.03.2009
Change of name allowed. Ask the unit to submit full compliance of earlier CMC decisions communicated. Call on 05.05.2009
                             06.05.2009
Issue final reminder for full compliance. Call on 12.06.2009
                              12.06.2009
Ask the unit to file DJB permission for ground water extraction as per new notification. Call on 05.08.2009
	Letter issued to the unit on 06.07.2009.
Unit has submitted reply on 13.07.2009 but not submitted DJB permission for ground water extraction for four number of borewell. Unit has not submitted effluent analysis report of STP and noise monitoring report and stadk moniotring report of D.G. Set of 1000 KVA along with CTO application.  
	Ask the unit to submit effluent analysis report, noise monitoring report of all D.G. Sets and stack monitoring report of  more than 1000 KVA D.G. Set to substantiate the compliance of gazette notification dated 17.05.2002 / 09.07.2002 from approved laboratory of DPCC. 
	Ask the unit to submit effluent analysis report, noise monitoring report of all D.G. Sets and stack monitoring report of  more than 1000 KVA D.G. Set to substantiate the compliance of gazette notification dated 17.05.2002 / 09.07.2002 from approved laboratory of DPCC. 

	11
	30565
	03-07-2009
	DHINGRA SERVICE STATION
	CHIRAG DELHI, MADAN GIRKHANPUR ROAD
	NC-S
	RENEWAL
	BUA :  200 sq mt
CTE : not Required
EC :  NA
ED & BG : NA.
Water Consumption : 4.65 KLD
Waste Water generation : 
(a) Domestic effluent: 300l/d
(b) Trade effluent: 4KLD
Date of Commissioning: 1970
ETP : Yes
STP : No. 
Test Report (Water) within limit : Yes
Test Report (Air) within limit : N/A 
NMR submitted : Yes.
Inspection conducted on : NA
Proof of Conformity : Dealer  Agreement.
	NIL
	Petrol Pump Cum  Service Station
	                   27.09.2006
Renewal to consent granted.
	1. DG Set: 50KVA
2. NMR dated 30.03.2009
3. Adequacy Report dated April 2009 & Test Report dated 06.04.09 submitted
4. GW : NIL
5. CTO valid upto 25.07.05 & CTR obtained & valid upto 11.01.09
6. CTE not required.
7. Applied for HWM Authorization on 03.07.09
	Recommended for grant of renewal of consent. Ask the unit to apply for fresh authorization under HWM Rules. 
	Issue  renewal of consent. Ask the unit to apply for fresh authorization under HWM Rules. 

	12
	30537
	01-07-2009
	GROVER SWEETS
	J-1/162, SHOP NO 3 & 4 (GF), RAJOURI GARDEN
	NC-W
	OPERATE
	BUA :  44 sqm.
CTE : issue valid upto 07.09.2011
EC : N/A
ED & BG :  NA.
Water Consumption :2 KLD
Waste Water generation : 
(a) Domestic effluent: 0.2 KLD
(b) Trade effluent: 1 KLD
Date of Commissioning: Since 2004
ETP :  No. Oil & Grease Trap installed.  
STP :  No. 
Test Report (Water) within limit :  NA.
Test Report (Air) within limit :NA. 
NMR submitted : NA.(No D.G. set)
Inspection conducted : No
Proof of Conformity : MCD license & Delhi Police valid upto 30.03.2010
	NIL
	Eating house
	Decision on 05.08.2010
Issue consent to establish.
	CTE issued valid upto 07.09.2011
Seating capacity : 32 seats.
	Recommended for grant of consent to operate. 
	Issue consent to operate. 

	13
	30535
	01-07-2009
	NIZAM'S KATHI KABAB
	H-5, PLAZA BUILDING, CONNAUGHT PLACE
	NC-ND
	OPERATE
	BUA :   83.61sq.m
CTE : Applied on 01.07.2009.
EC : NA
ED & BG :  NA.
Water Consumption :3KLD
Waste Water generation : 
(a) Domestic effluent: 1KLD
(b) Trade effluent: 2 KLD
Date of Commissioning:  Nov 1985
ETP : No. OIl & Grease trap installed. 
NMR submitted : No 
Inspection conducted on : 
Proof of Conformity :  Certificate of Registration of an Eating house.
	Nil
	Snack bar cum take away cafeteria
	05.08.2010.
Issue consent to establish with the condition to submit effleunt analysis report for the parameters as per newly notified standard. 
	CTO applied on 01.07.2009.
One DG set of 6.5KVA
	Inspection be conducted.
	Inspection be conducted.

	14
	30526
	01-07-2009
	LALJI FOODS
	A-2/43, RAJOURI GARDEN
	NC-W
	RENEWAL
	BUA :  650 sqm
CTE : applied on 19.05.2009
EC : N/A
ED & BG :NA.
Water Consumption : 16 KLD
Waste Water generation : 
(a) Domestic effluent: 8.5 KLd
(b) Trade effluent: 5 KLD
Date of Commissioning: may, 1998
ETP :  NA.
STP :  No. 
Test Report (Water) within limit : NA.
Test Report (Air) within limit : Yes 
NMR submitted : dated 16.06.2009 (DG set of 200 KVA)
Inspection conducted on : yes on 11.12.2009
Proof of Conformity : MCD licence
	4 KLD
	mfg. & sale of sweets, namkeen & snacks.
	Decision on 15.05.09
Issue SCN for closure.
Decision on 05.08.2010
Ask the unit to install ETP in view of the newly notified standards w.r.t. restaurants within 30 days, failing which, closure directions will be confirmed. 
	Letter issued on 17.09.2010 Unit submitted its reply on 15.10.2010 & stated that unit has started the work of installation of ETP of capacity of 40 KLD.
CTO issued valid upto 18.05.07
	Inspection be conducted. Inform to DJB regarding ground water extraction. 
	Inspection be conducted. Inform to DJB regarding ground water extraction. 
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	30525
	01-07-2009
	DLF COMMERCIAL DEVELOPERS LTD
	PLOT NO. 10 & 11, JASOLA
	NC-S
	OPERATE
	BUA :  47602.73 Sq Mt
CTE : Pending, Applied on 08.02.07 vide id no. 20622
EC : Submitted 16.09.07
ED & BG : NA.
Water Consumption : 415.1KLD on Application & 698.1KLD on affidavit.
Waste Water generation : 
(a) Domestic effluent: 277.8KLD on application & Nil on affidavit
(b) Trade effluent: NIL
Date of Commissioning: JUNE 2009
ETP : No
STP : Yes. 
Test Report (Water) within limit : Yes 
Test Report (Air) within limit : Yes 
NMR submitted : Yes 
Inspection conducted on : NA
Proof of Conformity : DDA License
	NIL
	Commercial & Retail Center
	                          06.05.2009
Unit has requested for a personal hearing. Personal hearing allowed. Call for personal hearing on 15.05.2009 at 5.15 PM.
                          15.05.2009
The unit came for personal hearing today. It has filed a compliance report on the points of deficiencies found by the SIT and agreed to rectify this within one week. The six monthly monitoring report must be submitted with a clear item-wise compliance on each point of the environmental clearance’s conditions and the unit must also file the consent to operate application and adequacy report from empanelled consultant of DPCC and affidavit that they do not have any borewell. Call on 01.07.2009. 
                           06.01.2010
Inspection be SIT.
	1. DG Set: 4 X 1500KVA & 4 X 1010 KVA, NMR & SMR of D.G.Sets dated 30.06.09 submitted
2. Adequacy Report dated 04.06.09 & Test Report dated 04.06.09 submitted
3. GW : NIL
4. CTE applied on 08.02.07 vd id no. 20622.
Letter was issued to the unit to file submit six monthly monitoring report  with a clear item-wise compliance on each point of the environmental clearance’s conditions and to file the consent to operate application and adequacy report from empanelled consultant of DPCC and affidavit that they do not have any borewell.
Reply Received, unit has applied for CTO on 01.07.2009 with adequacy report.
28970.78 sq m
Matter subjudice.
File refers to SIT.
Unit submitted a representation on 07.10.10 ( Environmental Statement, Form V).
	SIT be reminded to return the file along with the inspecton report.
	Case be put up after implementation of the Scrutinizing Committee.
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	30522
	30-06-2009
	BAGGA LINK  SERVICE LTD.
	LINK ROAD, KAROL BAGH
	NC-C
	RENEWAL
	BUA :  285 Sq Mt
CTE :  Not Required
EC : NA
ED & BG : NA.
Water Consumption : NIL on application & 3KLD on affidavit
Waste Water generation : 
(a) Domestic effluent: 400 L/d 
(b) Trade effluent: 3KLD
Date of Commissioning: 1982
ETP : Yes
STP : No. 
Test Report (Water) within limit : Yes .
Test Report (Air) within limit : Yes . 
NMR submitted : Yes.
Inspection conducted on : NA
Proof of Conformity : Dispencing Pump & Selling License ; Electricity & Water Bills
	NIL
	Filling Station Cum Service Station of Two Wheelers (Washing of Two Wheelers).
	 
	1. DG Set: 63 KVA
2.  NMR dated 07.01.09 submitted
3. Adequacy Report dated 08.06.09 & Test Report dated 08.06.09 submitted
4. GW : NIL
5. CTO valid upto 04.12.03 , 13.08.05 & CTR valid upto 13.08.08
6. CTE not required.
7. HWM Authorization granted on 30.06.06
	Recommended for grant of renewal of consent. Ask the unit to apply for fresh authorization under HWM Rules. 
	Issue  renewal of consent. Ask the unit to apply for fresh authorization under HWM Rules. 
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	30492
	29-06-2009
	NARANGS INTERNATIONAL HOTELS PVT. LTD.(UNIT: AMBASSADOR'S SKY CHEF)
	IGI AIRPORT COMPLEX
	NC-SW
	RENEWAL
	BUA :  8400 sqm.
CTE : not applied
EC : not applicable
ED & BG : NA.
Water Consumption :350 KLD
Waste Water generation : 
(a) Domestic effluent: 54 KLD 
(b) Trade effluent: 216 KLD
Date of Commissioning:June, 1986 
ETP : Yes 
STP : Yes
Test Report (Water) within limit : Yes.
Test Report (Air) within limit : Yes
NMR submitted : Yes, dated 22.05.2009 (D.G. Set:2X250 KVA & 500 KVA)
Inspection conducted: yes (on 08.07.2003)
Proof of Conformity : Yes
	350 KLD
	Flight catering
	Decision on 03.06.09
Ask the unit to confirm the installation of Rain Water Harvesting System and file DJB clearance and to
 install Solar Water Heating System expeditiously. Unit to confirm that entire treated waste water is 
reused by itself or by DIAL. Ask the unit to file adequacy report from empanelled consultant of DPCC 
expeditiously. Call on 22.07.2009.
Decision on 16.03.2010
Issue reminder for present status of complaince of earlier CMC decision  
Decision on 26.05.2010
Ask the unit to submit the latest water mass balance chart.
	Unit submitted its reply on 09.09.2010 and requested for issue of Renewal of consent to operate wchich unit already submitted vide I.D no 30492 on 29.06.2009.
Earlier CTO issued twice valid upto 31.01.2005 & 08.04.2006 respectively.
CTR issued valid upto 08.04.2009.
	Recommended for grant of renewal of consent.  Inform to DJB regarding ground water extraction. 
	Issue consent to operate with the condition to achieve 100 % reuse / recycle of the treated water within 01 year. Inform to DJB regarding ground water extraction. 
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	30461
	25-06-2009
	KITCHNER ROAD SERVICE STATION
	ROAD NO.41, SAHEED LALA JAGAT NARAYAN MARG, NEAR TV TOWER PITAM PURA
	NC-NW
	OPERATE
	BUA :  800sqm
CTE :  Granted and valid upto 24.05.2011.
EC : NA
ED & BG : NA.
Water Consumption :500l/day
Waste Water generation : 
(a) Domestic effluent :200l/day
(b) Trade effluent: 300l/day
Date of Commissioning: Jan 2008
ETP : Yes 
Test Report (Water) within limit : Yes 
NMR submitted : No.
I
	500 l/day.
	Service station for vehicles
	16.04.2010.
Issue consent to establish. Subsequently, inspection be conducted.
	Applied for CTO on 25.06.09
Trade effluent-300l/day
Adequacy report of ETP is submitted.
One D.G. Set of 125 KVA as per CTE application. 
	Ask the unit to submit the dealership agreement with any of the Oil Co. and a letter from Oil Co. that the dealership is valid as on date along with the lay out plan of the petrol pump cum service station and the sanctioned building plan of DDA / MCD. Also ask the unit to submit fresh authorization under HWM Rules. Inspection be expedited. Inform to DJB regarding ground water extraction. 
	Ask the unit to submit the dealership agreement with any of the Oil Co. and a letter from Oil Co. that the dealership is valid as on date along with the lay out plan of the petrol pump cum service station and the sanctioned building plan of DDA / MCD. Also ask the unit to submit fresh authorization under HWM Rules. Inspection be expedited. Inform to DJB regarding ground water extraction. 
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	30459
	25-06-2009
	DTC
	BBM DEPOT- I
	NC-N
	RENEWAL
	BUA :  986sqm
CTE : not applied
EC : NA
ED & BG :  NA.
Water Consumption :1350lpd
Waste Water generation : 
(a) Domestic effluent: 3500lpd
(b) Trade effluent: 10000lpd
Date of Commissioning:1952 
ETP : Yes.
STP : no 
Test Report (Water) within limit : Yes 
Test Report (Air) within limit : Not Submitted
NMR submitted : Yes 
Inspection conducted on : NA
Proof of Conformity : NA
	1350lpd( as per affidavit)
	Repairing and Washimg of Buses
	 
	 
	Ask the unit to apply for authorization under HWM Rules. Inform to DJB regarding ground water extraction. 
	Ask the unit to apply for authorization under HWM Rules. Inform to DJB regarding ground water extraction. 
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	30371
	18-06-2009
	DTC NARAINA DEPOT
	PANDAV NAGAR
	NC-SW
	RENEWAL
	BUA :  2184.243 sqm.
CTE : not applied
EC : not applicable
ED & BG :  NA.
Water Consumption :24.50 KLD
Waste Water generation : 
(a) Domestic effluent: 11.50 KLD
(b) Trade effluent: 10.00 KLD
Date of Commissioning: Jan 1982
ETP : Yes 
STP :  No. 
Test Report (Water) within limit : Yes 
Test Report (Air) within limit : Yes
NMR submitted : Yes, dated 16.04.2009.(D. G. Set: 62.6 KVA)
Inspection conducted :  on 21.05.2002
Proof of Conformity : MCD licence
	10 KLD
	Repair and maintenance of DTC buses
	 
	Earlier CTO issued valid upto 19.12.2005.
CTR issued valid upto 19.12.2008.
Autorization under hazardous waste granted on 10.12.2004
	Recommended for grant of renewal of consent. Ask the unit to apply for fresh authorization under HWM Rules. Inform to DJB regarding ground water extraction. 
	Issue  renewal of consent. Ask the unit to apply for fresh authorization under HWM Rules. Inform to DJB regarding ground water extraction. 
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	30360
	17-06-2009
	DTC Dilshad Garden, Delhi.
	SEEMAPURI
	NC-NE
	RENEWAL
	BUA :  not mentioned. total plot area 14,932.25 Sq. mtrs.
CTE :yes
EC : N/A
ED & BG : N/A
Water Consumption :14 kilo liters/day
Waste Water generation : 
(a) Domestic effluent:1.8 kilo lts/day. 
(b) Trade effluent:10 kilo liters/day.(As per affidavit) 
Date of Commissioning:Dec1972.
ETP : Yes 
STP :  No. 
Test Report (Water) within limit : Yes 14.02.2006.
Test Report (Air) within limit : No
NMR submitted : Yes.(07.03.2006)
Inspection conducted on : 20.05.2003.
Proof of Conformity : 
	16 KLD
	Bus Depot.
	07.05.2004.
SCN for refusl of consent be issued.
14.09.2004.
consent granted.
	DG set 62.5 KVA .A/E provided.
CTE :N/A.
CTO  granted on 03.11.2004 valid upto 25.11.2005.
CTO (R) granted on 12.02.2007, valid upto 25.11.2008.
Appl for HW not submitted.
	Ask the unit to apply for authorization under HWM Rules. Inform to DJB regarding ground water extraction. 
	Ask the unit to apply for authorization under HWM Rules. Inform to DJB regarding ground water extraction. 
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	30164
	02-06-2009
	DELHI TRANSPORT CORPORATION
	SUBHASH PLACE DEPOT
	NC-NW
	RENEWAL
	BUA :  4350 sqm
CTE : Not required.
Water Consumption :14 KLD
Waste Water generation : 
(a) Domestic effluent: 4.5 KLD
(b) Trade effluent: 8 KLD
Date of Commissioning: 1984
ETP : Yes 
Test Report (Water) within limit : No. 
NMR submitted : Yes. 
	 
	 
	 
	Application was received by post. 
D.G. Set of 62.5 KVA and 125 KVA.
	Issue SCN for refusal of consent in view of the existence of the bypass indicating in the test report specifically indicating the prosecution procedure against the Depot Manager of DTC who is controlling affairs of the Depot. Ask the unit to apply for fresh authorization under HWM Rules. Suitable instructions be issued to DPCC laboratory for not collect the grab samples form the bypass arrangement as the same are not the true representative samples of the waste water generated from such establishment.  
	Issue SCN for refusal of consent in view of the existence of the bypass indicating in the test report specifically indicating the prosecution procedure against the Depot Manager of DTC who is controlling affairs of the Depot. Ask the unit to apply for fresh authorization under HWM Rules. Suitable instructions be issued to DPCC laboratory for not collect the grab samples form the bypass arrangement as the same are not the true representative samples of the waste water generated from such establishment.  
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	30059
	26-05-2009
	DELHI TRANSPORT CORPORATION
	SUKHDEV VIHAR
	NC-S
	RENEWAL
	BUA :  24176.93 Sq feet
CTE : not applied
EC : Not Applied
ED & BG : NA.
Water Consumption : 16 L/d on application & 16 KLD on affidavit
Waste Water generation : 
(a) Domestic effluent: 2 KLD
(b) Trade effluent: 14 KLD
Date of Commissioning: 22.02.76
ETP : Yes 
STP :No. 
Test Report (Water) within limit : Yes
NMR submitted : Yes.
Inspection conducted on : NA
Proof of Conformity : 
	14 KLD
	Repair & Mantainance of Buses
	 
	1. DG Set: 125 KVA
2.  NMR dated 18.04.2009 submitted
3. Adequacy Report dated May 2009 & Test Report dated  25.04.09 submitted.
4. GW : 16KLD
5. CTO valid upto 04.12.08 vd CNO no. 17980.
	Ask the unit to apply for consent to establish and fresh authorization under HWM Rules. Inform to DJB regarding ground water extraction. 
	Ask the unit to apply for authorization under HWM Rules. Inform to DJB regarding ground water extraction. 
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	29983
	20-05-2009
	ADITYA INFRADEVELOPERS PVT. LTD.
	PLOT NO 5, DISTRICT CENTRE, JASOLA
	NC-S
	OPERATE
	BUA :  12330Sq Mt
CTE : Pending, Applied on 01.10.07 vd id no. 23717
EC : NA
ED & BG : NA.
Water Consumption : 230KLD
Waste Water generation : 
(a) Domestic effluent: 80KLD
(b) Trade effluent: NIL
Date of Commissioning: 2009
STP : YES. 
Test Report (Water) within limit :  Not submitted.
Test Report (Air) within limit : NA. 
NMR submitted : Yes .
Inspection conducted on : 04.05.10
Proof of Conformity : DDA sanction order
	NIL
	Shopping Complex cum Office 
	In CTE application:
                          20.02.2009
Ask the unit to file adequacy report mentioning the reuse of treated waste water. Inspection platform with approach ladder and filter press should be provided with STP. Proper log book should be maintained. Sludge generated from the physio-chemical ETP should be managed as per HWM Rules. One bore-well exists at site. No information provided regarding CGWA clearance. Ask the unit to correct all these deficiencies. Call on 02.04.2009
                                 02.04.2009
Issue final remider. Call on 12.05.2009
                                 12.06.2009
Ask the unit to file environmental clearance as built up area is more than 20,000 sqm as per IIT Survey. Also ask the unit to file full compliance and file DJB clearance for ground water extraction. Call on 05.08.2009
                                 21.01.10
Ask the unit to file environmental clearance and if there is any area discrepancies, same be pointed out. Also inspection be conducted to know the present status.
                          27.08.10
Issue SCN for refusal of consent in view of deficiencies obsered during the insepction. Also ask the unit to submit the completion certificate. 
	1. DG Set: 125 KVA
2.  NMR dated 27.04.09submitted
3. Adequacy Report dated 27.04.09 submitted  but Test Report not submitted
4. GW : NIL
5. CTE applied on 01.10.07 vd id no.23717 
Letter wa issued to the unit on 23.02.10.
Inspection was carried out by DPCC officials on 04.05.10 & following observations were made:
1. STP was found in operation. however, foul smell was observed. 2. No proper rainwater harvesting system provided.3. sludge drying bed / filter press not provided. 4. treated water is not being used for horticulture purpose. 5. Solar water heating system not provided. 6. No facitity provided to watch /monitor the operation of various units of STP. Ladder needs to be provided. Since the height of tanks are quite high. 7. No arrangement provided for disinfection. 8. No log book of STP was available.
 SCN was issued to the unit on 29.10.10
Unit submitted a reply on 22.11.10
	Re-inspection be conducted to confirm the statement of the unit. Though the completion certificate has been submitted by the project proponent, however, the same does not bring any clarity regarding the actual built up area. Therefore, the MCD/DDA may be requested to provide the built up area of the completed building.
	Re-inspection be conducted to confirm the statement of the unit. Though the completion certificate has been submitted by the project proponent, however, the same does not bring any clarity regarding the actual built up area. Therefore, the MCD/DDA may be requested to provide the built up area of the completed building.
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	29982
	20-05-2009
	PARSVNATH DEVELOPERS LTD.
	INDERLOK METRO STATION
	NC-N
	OPERATE
	BUA :  9596.6sq.m 
CTE : yes
EC : NA
ED & BG : Submitted.
Water Consumption : 44500lpd from DMRC(as per affidavit)
20000lpd rom bre well(as per SIT report)
Waste Water generation : 
(a) Domestic effluent: 12000lpd
(b) Trade effluent: Nil
Date of Commissioning: Jan, 2005
ETP :  No .
STP :  No. 
Test Report (Water) within limit : Yes except TSS
Test Report (Air) within limit : NOT submitted 
NMR submitted : Yes 
Inspection conducted on : 16.07.2008
Proof of Conformity : NA
	Nil
	"Parsvnath Metro Mall " (commercial complex) within the footprints of Inderlok Metro Station, Delhi, is of all activities related to a comercial Complex
	25.03.2009
Ask the unit to apply for Consent to Operate before mall is made operational. Call on 05.05.2009
06.05.2009
Call for personal hearing on 22.05.2009 at 5.15 pm.
 22.05.2009
The unit came for personal hearing today. Unit says that it was not informed at the time of Consent to Establish and Consent to Operate about installation  of ETP and at the same time the record shows that 156 seating capacity Mc’donold and 74 seating capacity Pizza Hut are the part of the mall. Consequently the need for ETP to handle 12 KLD of waste water that can be generated is unavoidable. The unit says that pizza hut has been closed down. There is no guarantee that some other eateries do not come up in future. In these circumstances, it is appropriate to set up appropriate ETP to handle the trade effluent. Unit be also advised to get the DJB permission for ground water extraction. Call on 08.07.2009.
	CTE issued on 20.02.2009 an valid upto 19.02.2010
CTO applied on 20.05.2009

 Letter for installation of ETP and to file DJB permission was issued on 17.06.09.
Reply received on 03.08.2009 stating that process of installation of STP in under process and have requested for time to file DJB permission.

Notice u/s 31(A) of Air Act and 33(A) of Water Act issued to unit on 01.12.2008
Notice for violation of sec. 25/26 of Water Act and 21/22 of Air Act issued to unit on 14.02.2008
BG of Rs 38.74 lakhs and ED of Rs 19.37 lakhs submitted by unit on 19.02.2009.
	Issue SCN for refusal of consent.
	Issue SCN for refusal of consent.
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	29936
	18-05-2009
	ITC LIMITED (UNIT SHERATON NEW DELHI)
	DISTRICT CENTRE, SAKET
	NC-S
	RENEWAL
	BUA :  2995 Sq.mtr
CTE : not required 
EC : NA
ED & BG :  NA.
Water Consumption : 290 L/d on Application Form & 290 KL/d on Affidavit
Waste Water generation : 
(a) Domestic effluent: 106 Kl/d
(b) Trade effluent: 76 Kl/d
Date of Commissioning: 2001
STP : Yes . 
Test Report (Water) within limit : No
Test Report (Air) within limit : Yes. 
NMR submitted : Yes .
	280 Kl/d
	Hotelier
	26.07.2010
Inspection be conducted
	1. DG Set: 2x 1250 KVA
2.  NMR dated 13.10.2008 submitted
3. Adequacy Report dated May 2008 submitted  but Test Report dated 09.11.2010 submitted.
4. GW : NIL
5. SMR dated 02.11.2010 submitted.
6. CTO valid upto 31.07.2004 vide CNO 277.
7. CTR vaid upto 30.05.2009 vide CNO 15931.
	Inspection be expedited as per CMC decision dated 26.07.2010. Inform to DJB regarding ground water extraction. 
	Issue consent to operate along with the guidelines of Green Hotel category.
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	29799
	06-05-2009
	DELHI TRANSPORT CORPORATON
	BBM DEPOT-II
	NC-N
	RENEWAL
	BUA :  8725.58 sqm
CTE : NOT APPLIED 
EC : NA
ED & BG : NA.
Water Consumption :16000lpd
Waste Water generation : 
(a) Domestic effluent: 1500lpd
(b) Trade effluent: 11200lpd
Date of Commissioning: Jan 1982
ETP : Yes
STP :  No. 
Test Report (Water) within limit : Yes
Test Report (Air) within limit :NA. 
NMR submitted :  NA.
Inspection conducted on : NA
Proof of Conformity : NA
	16000lpd(as per Affidavit)
	Repair and Maintanance & services water  Washing of CNG buses.
	 
	CTR issued on 19.10.2004
	Ask the unit to apply for consent to establish and authorization under HWM Rules. Inform to DJB regarding ground water extraction. 
	Issue renewal of consent. Ask the unit to apply for fresh authorization under HWM Rules. Inform to DJB regarding ground water extraction. 

	28
	29796
	06-05-2009
	DLF LTD.
	PLOT NOS A-4 & P-1A, SAKET PLACE
	NC-S
	OPERATE
	BUA : 124142.78 Sq.mtr
CTE : applied on 25.09.2007
EC : submitted on 15.01.2007
ED & BG : Not submitted ( matter subsidise).
Water Consumption :1008 Kl/d
Waste Water generation : 
(a) Domestic effluent: 500 Kl/d on application Form & NIL on affidavit
(b) Trade effluent: Nil
Date of Commissioning: Feb, 2009
ETP :  NA.
STP : Yes. 
Test Report (Water) within limit :  No.
Test Report (Air) within limit : Yes . 
NMR submitted : Yes .
Inspection conducted on : 05.03.2009 (SIT)
Proof of Conformity : No submitted
	NIL
	Shopping, Multiplex, Hotel and Office 
	In CTE application:                      
  12.03.2009
The SIT- I & SIT-II inspection report may be carefully studied and case be submitted administratively covering all the points within a week without waiting for the minutes.
                                 20.03.2009
Advocate be consulted and appropriate action with draft order be put up in CMC on 25.03.2009. Call on 25.03.2009.
                                25.03.2009
File be put up administratively without waiting for minutes.
                             23.04.2009
A written explanation of the ALO-I as to why the order has not been implemented. File may be sent to Sh. Vidhey to immediately get the vacation of the stay and confirm to DPCC in writing. Call on 08.05.2009
                             11.05.2009
Ask the advcoate to expedite the vacation of the stay. Call on 22.05.2009
                            15.06.2009
Call on 12.08.2009.
                       21.01.10
Monitoring of STP be conducted in view of the legal opinion.
                       05.08.10
A detailed letter be sent to the unit to clarify about the activity of the existing complex and reason for not disclosing the hotel activity in the environmental clearance and consent to establish application.
                      
	1. DG Set: 2x1500 KVA, 3x 1400 KVA & 1010 KVA
2.  NMR submitted on 05.03.2009
3. Adequacy Report dated 30.12.2008 & Test Report dated 08.02.2010 submitted
4. GW : nil.
5. CTE cancealed on 03.02.2010 vide CNO 374.
The application for consent to establish and consent to operate has not been received in DPCC. However, an application for CTE and CTO for shopping mall at DLF Courtyard has been submitted by DLF Ltd. In the adequacy report prepared by Delhi College of Engineering, there is no mention of existence of hotel. Inspection of the site was also conducted by SIT and the same does not reveal the existence of hotel. Directions were issued to this Mall and DLF has challenged the directions issued by DPCC imposing Bank Guarantee (Rs. 3.15 crores) and environemental damages (Rs. 35 Lakhs)  and the matter is subjudice before Hon'ble High Court. 
Letter was issued to the unit on 29.09.10.
Unit submitted its reply on 27.09.10
	LPA is being filed w.r.t. the Hon'ble High Court order dated 30.09.2010. File be put up administratively.
	Reinspection be conducted to ascertain the existence of the hotel facilities.

	29
	29773
	05-05-2009
	COMPETENT AUTOMOBILES CO. LTD.
	PLOT NO-3, GAZIPUR
	NC-E
	RENEWAL
	BUA :  1059.43 Sq.meters.
CTE :No 
EC : 
ED & BG :  NA.
Water Consumption :20,000 KLD.
Waste Water generation : 
(a) Domestic effluent: not mentioned. 
(b) Trade effluent:nil 
Date of Commissioning:June 1997 (existing) 
ETP : Yes (April 2009).
STP :  No. 
Test Report (Water) within limit : Yes .
Test Report (Air) within limit : Yes . 
NMR submitted : Yes, 23.02.2009.
	20,000 KLD
	sale and Service of Maruti Vehicles.
	
	
CTO granted, valid upto 06.02.2006.
CTR granted, valid upto 05.02.2009..
DG set 1*140 KVA & 1*100 KVA.
	Inspection be conducted to know the existence of painting booth and other pollution control measures as the unit has not mentioned existence of the same. Ask the unit to apply for fresh authorization under HWM Rules. Inform to DJB regarding ground water extraction. 
	Inspection be conducted to know the existence of painting booth and other pollution control measures as the unit has not mentioned existence of the same. Ask the unit to apply for fresh authorization under HWM Rules. Inform to DJB regarding ground water extraction. 
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	29769
	04-05-2009
	INDRAPRASTHA SERVICE STATION
	I.P. ESTATE, RING ROAD
	NC-C
	RENEWAL
	BUA :  150 Sq,mtr.
CTE : not applied
EC : NA
ED & BG :  NA.
Water Consumption :6000Lt/d
Waste Water generation : 
(a) Domestic effluent: 800Lt/d
(b) Trade effluent: 5000Lt/d
Date of Commissioning: Feb 2006
ETP : Yes .
STP :  No. 
Test Report (Water) within limit : Yes .
Test Report (Air) within limit : n/a
NMR submitted : Yes .
Inspection conducted on : NA
Proof of Conformity : Petrol/HSD pump Dealer Agreement. Water and Electricity Bill
	5000Lt/d
	Filling cum servicing of vehicles.
	 
	1. DG Set: 50 KVA
2.  NMR submitted on 17.04.2009
3. Adequacy Report dated october 2005 & Test Report dated 05.03.2009 submitted
4. GW :5000Lt/d, CWGA/ DJB clearence not submitted.
5. CTO valid upto 11.01.2009 with CNO  16392.
6. HWM applied on 20.08.08.
	Ask the unit to apply for consent to establish and fresh authorization under HWM Rules. Inform to DJB regarding ground water extraction. 
	Issue renewal of consent. Ask the unit to apply for fresh authorization under HWM Rules. Inform to DJB regarding ground water extraction. 
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	29750
	04-05-2009
	PICCADILY HOTEL
	DISTRICT CENTRE, JANAKPURI
	NC-W
	OPERATE
	BUA :  34,067.31
CTE : issued valid upto 24.07.2009
EC :  obtained on 21.05.07
ED & BG : Submitted 
Water Consumption :145 KLD
Waste Water generation : 
(a) Domestic effluent: 75 KLD
(b) Trade effluent: NIL
Date of Commissioning: Dec, 2008
ETP : No
STP : Yes  
Test Report (Water) within limit : not submitted
Test Report (Air) within limit : No 
NMR submitted :  No (D.G. Set: 1500X2 KVA)
Inspection conducted on : 30.06.2010
Proof of Conformity : No
	110 KLD
	Five star hotel project
	Decision on 06.05.2009
Ask the unit to file following documents:-
(i) Permission from DJB for ground water extraction as per new notification.
(ii) To install solar lighting and solar water heating system.
(iii) To install flow measuring device in the STP.
(iv) Compliance report w.r.t. Sl. No (ii), (xix), (xx), (xxii) in construction phase and Sl. No (ii), (iii), (iv), (vii) & (ix) in operational phase mentioned in the environmental clearance needs to be substantiated.
Call on 12.06.2009
 Decision on 12.06.2009
Issue final reminder. Call on 05.08.2009
Decision on 05.08.2010
Issue SCN for refusal of consent and SCN u/s 31 (A) of the Air Act and u/s 33 (A) of the Water Acttaking cognizence of fresh compliant also.
Decision on 09.11.2010
Inspection be conducted.
	Both SCN issued to the unit on 28.09.2010. 
Unit submitted point wise reply on 20.10.2010.
	Implement the CMC(Orange) decision dated 09.11.2010. Inform to DJB regarding ground water extraction. 
	Issue consent to operate along with the guidelines of Green Hotel category with the condition to achieve 100 % reuse / recycle of the treated water within 01 year.
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	29748
	01-05-2009
	P.P. BUILDWELL PVT. LTD.
	TOWER BLOCK SITE, DISTRICT CENTRE, JANAKPURI
	NC-W
	OPERATE
	BUA :  21959.56 sqm.
CTE :Issued valid upto 29.07.2009
EC : obtained on 28.08.2008
ED & BG : Submitted
Water Consumption :104 KLD
Waste Water generation : 
(a) Domestic effluent: 64 KLD 
(b) Trade effluent: NIL
Date of Commissioning: 2010
ETP : Yes 
STP : No. 
Test Report (Water) within limit :No (not submitted)
Test Report (Air) within limit : Yes 
NMR submitted : Yes, dated 27.04.2009.(D.G. Set:500X3 KVA)
Inspection conducted on : 01.05.2008
Proof of Conformity : DDA
	NIL
	West end mall                                                                                                                                                                                                                                                                                                                                                                                                                                                                                                                                                                                                                                                                                                                                                                                                                                                                                                                                                                                                                                                                                                                                                                                                                                                        
	Decision on 06.05.2009
Ask the unit to file ground water permission from DJB as per new notification. Unit claims that it will start operation in 2010, ask the unit to file its latest adequacy report at the time of operation before its consent to operate application is considered. Call on 12.06.2009.
Decision on 12.06.2009
Paste the letter on the premises. Call on 05.08.2009
	Issued final reminder to the unit regarding submission of compliance affidavit of EC on 16.04.2009.
	Ask the unit to submit the fresh adequacy report along with effluent analysis report of STP from approved consultant / laboratory of DPCC. Inspection may also be conducted. 
	Ask the unit to submit the fresh adequacy report along with effluent analysis report of STP from approved consultant / laboratory of DPCC. Inspection may also be conducted. 
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	29727
	01-05-2009
	HOUSING & URBAN DEVELOPMENT CORPORATION LTD.
	HUDCO PLACE, ANDREWS GANJ
	NC-S
	RENEWAL
	BUA :  Not mentoned
CTE : Not Required
EC : NA
ED & BG : NA.
Water Consumption : 28 KLD
Waste Water generation : 
(a) Domestic effluent: 2KLD
(b) Trade effluent: 2KLD
Date of Commissioning: May 2000
ETP : No
STP : No. 
Test Report (Water) within limit : NA.
Test Report (Air) within limit : Yes 
NMR submitted : Yes
Inspection conducted on : NA 
Proof of Conformity : NA
	Not Mentioned
	Maintenance and operation of DG Set, Boilers & Scrubber.
	 
	1. DG Set: 2X 1000 KVA
2. NMR dated 12.01.09 submitted.
3. CTO valid upto 14.05.06 vide CNO 9161.
4. CTR valid upto 15.09.2000 & 14.05.03 vide CNO 37 & 504 respectively.
	File be put up administratively. 
	Inspection be conducted.
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	29720
	30-04-2009
	AGGARWAL PLAZA PVT LTD.
	PLOT NO 29 & 31, CBD SHAHDARA
	NC-E
	OPERATE
	BUA : 18000.00sq.meter. 
CTE : yes
EC : not submitted
ED & BG : Submitted / Not submitted / NA.
Water Consumption :62.20 kilo ltrs/iday.
Waste Water generation : 
(a) Domestic effluent: 55.08 kilo ltrs/day.
(b) Trade effluent: nil.
Date of Commissioning: 2008.
ETP : Yes 
STP : Yes. (19.02.2009)
Test Report (Water) within limit : Not submitted. 
NMR submitted : Yes (19.02.2009.)
	No
	Commercial complex.
	12.06.2009.
sk the unit to file DGB for ground water extraction.
Call on 05.08.2009.
06.05.2009:file affidavit for EC.
25.03.2009:
call on 05.05.2009.
	CTE granted, valid upto 19.08.2009.
DG set 2*1500 KVA, 1*500 KVA.
	Ask the unit to submit effluent analysis report from approved laboratory of DPCC. 
	Ask the unit to submit effluent analysis report from approved laboratory of DPCC. 
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	29698
	28-04-2009
	TULI MOTORS
	RING ROAD, RAJA GARDEN
	NC-W
	OPERATE
	BUA :  11145 sqm (Plot area)
CTE : applied on 27.04.2009
EC : N/A
ED & BG :  NA.
Water Consumption :2 KLD
Waste Water generation : 
(a) Domestic effluent:1.5 KLD 
(b) Trade effluent: 0.5 KLD
Date of Commissioning: 02.04.2009
ETP : Yes
STP :  No. 
Test Report (Water) within limit : Yes 
Test Report (Air) within limit : NA. 
NMR submitted :  NA.(no DG set)
Inspection conducted on : no
Proof of Conformity : MCD licence
	2 KLD
	Oil filling station cum servicing of automobiles
	Deciision on 05.08.2010
Ask the unit to submit a letter from the oil co. certifying that the delearship agreement iof the petrol pump is valid as on date.
	Unit has applied for fresh authorization under HWM Rules on 23.01.2009.
Unit submitted its reply on 27.09.2010 regarding submission of dealership agreement which is valid upto 29.09.2010.
	Recommended for grant of consent to operate and consent to establish.  Ask the unit to apply for fresh authorization. Inform to DJB regarding ground water extraction. 
	Issue consent to operate and consent to establish.  Ask the unit to apply for fresh authorization. Inform to DJB regarding ground water extraction. 
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	29585
	20-04-2009
	JAIN MOTOR CAR COMPANY
	149/4B, GURU GOVIND SINGH, NEW ROHTAK ROAD
	NC-C
	RENEWAL
	BUA :  1022.20 sqm (Plot area)
CTE : Not applied
EC : N/A
ED & BG :  NA.
Water Consumption :4300 KLD
Waste Water generation : 
(a) Domestic effluent: 650 KLD
(b) Trade effluent: 4150 KLD
Date of Commissioning: 1954
ETP : Yes 
STP :  No. 
Test Report (Water) within limit : Yes 
Test Report (Air) within limit : Yes 
NMR submitted : dated 10.11.2008 (D.G. set of 10KVA & 12 KVA)
Inspection conducted : No
Proof of Conformity : MCD licence
	3.5 KLD
	service station cum petrol pump of IBP co. ltd.
	 
	CTO issued twice valid upto 31.08.2004 & 04.10.2008
CTO_R application dated 17.08.2004 made refused on 16.09.2005
Issued authorization under HWM rules on 30.06.2006
Unit submitted its reply on 16.02.2010 regarding CTO_R which unit have already applied on 20.04.2009
	Ask the unit to submit the certificate from the Oil Co. that the dealership agreement is valid as on date. Also ask the unit to apply for fresh authorization under HWM Rules. Inspection may also be conducted. Inform to DJB regarding ground water extraction. 
	File be put up administratively. 
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	29584
	20-04-2009
	BEVERLY PARK MAINTENANCE SERVICES LTD. (DLF PLACE)
	PLOT NO 3,  NELSON MANDELA ROAD, VASANT KUNJ, PHASE-I
	NC-SW
	OPERATE
	BUA : 69,246.3 sqm. 
CTE : issued on 12.02.2010 was cancelled
EC :  issued on 22/01/2007
ED & BG : NA.
Water Consumption :239.71 KLD
Waste Water generation : 
(a) Domestic effluent: nil
(b) Trade effluent: 123.05 KLD
Date of Commissioning: Feb 2009
ETP : Yes 
STP : Yes
Test Report (Water) within limit : Yes 
Test Report (Air) within limit : Yes 
NMR submitted : Yes dated 31.03.2009 (D.G. set: 2X1750 & 1X1500)
Inspection conducted : yes
Proof of Conformity : yes
	nil
	Shopping complex
	Decision on 11.05.2009
In this case, the CMC unanimously decided that since the unit is operating without being granted consent to operate and since the unit is running with an under capacity STP despite order of MoEF for a 150 KLD STP and since the unit has not filed monitoring report from DPCC approved laboratory, the unit may be informed that it will be prosecuted against within 10 days as per the Hon’ble  High Court order dated 28.05.2008. The unit may be informed about this immediately and prosecution may be implemented exactly after the delivery of the notice which should be by hand. Letter may be shown administratively and also to the advocate in next two days before issue. The prosecution order be drafted by advocate within this week. Call on 22.05.2009
Decision on 22.05.2009
Since the advocate has suggested that the letter received from DLF must be examined on merits and since this is a very lengthy letter, let the file be submitted administratively after proper careful examination of the letter by Sh. B. Kumar, SEE.
Decision on 12.06.2009
File be reexamined and submit administratively.
Decision on 22.07.09
File be put up administratively with a legal examination.
Decision on 06.01.2010
Consent to Establish application be made infructuous 
in view of subsequent application dated 25.09.07 and file be linked with file
 vide I.D. No-23625.
	Unit applied for fresh authorization under Hazardous Waste Rules on 28.01.2010 vide application no. 0005.
Unit submitted its reply on 01.10.2009 regarding submission of form V for "DLF Promenade".
	Inspection be conducted.
	Inspection be conducted.
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	29583
	20-04-2009
	REGENCY PARK PROPERTY MANAGEMENT SERVICES PVT. LTD. (EMPORIO)
	PLOT NO 4,  NELSON MANDELA ROAD, VASANT KUNJ, PHASE-I
	NC-SW
	OPERATE
	BUA :  60,228 sqm.
CTE : cancelled
EC : obtained on 24.11.2006
ED & BG :  NA.
Water Consumption :155.9 KLD
Waste Water generation : 
(a) Domestic effluent: 75 KLD
(b) Trade effluent: NIL
Date of Commissioning: August 2008
ETP : Yes
STP : Yes . 
Test Report (Water) within limit : Yes (expect parameter nitrate nitrogen & phosphate)
Test Report (Air) within limit : Yes  
NMR submitted : dated 05.03.2009.(D.G. Set: 1750 KVA, 1500 KVA & 1010 KVA)
Inspection conducted on : 01.05.2009
Proof of Conformity : No
	NIL
	Shopping complex
	Decision on 15.06.2009
As per the affidavit dated 17.04.2009, it has been stated that there is no discharge of domestic sewage due to 100 % recycling of treated effluent. Treated effluent will be recycled / reused for toilet flushing, air conditioning and horticulture whereas adequacy report is silent on this aspect. Unit be also asked to obtain the modified adequacy report clearly certifying that 100 % recycling of treated effluent is being done and effluent is not discharged outside the premises. Unit be also asked zto confirm on affidavit about the details of industrial effluent recycling. Call on  12.08.2009
 Decision on 06.01.2010
Application be made infructuous in view of subsquent application dated 25.09.07 and file be linked with the vide I.D.No 23627.
 Decision on 21.01.2010
Matter subjudice. Issue reminder.
	Applied for CTE on 27.04.2005 &25.09.2007. Application dated 25.06.2007 was cancelled on 12.02.2010.
Final reminder issued to the unit on 16.02.2010 regarding submission of affidavit including details of industrial effluent recycling.
Unit submitted its reply with affidavit on 09.03.2010.
Applied for fresh authorization under HWM Rules on 28.01.2010 vide I.D. no 0004.
Unit submitted its reply on 28.09.2010 regarding submission of form V for 'DLF Emporio'
	Inspection be conducted.
	Inspection be conducted.

	39
	29564
	17-04-2009
	DTC SEEMAPURI DEPOT
	SEEMAPURI
	NC-NE
	RENEWAL
	BUA :  704.04 Sq. meter.
CTE :yes
EC : N/A
ED & BG : N/A
Water Consumption :14 kilo liters/day
Waste Water generation : 
(a) Domestic effluent:1.8 kilo lts/day. 
(b) Trade effluent:10 kilo liters/day.(As per affidavit) 
Date of Commissioning: 1974.
ETP : Yes 
STP :  No. 
Test Report (Water) within limit : Yes 
Test Report (Air) within limit : No
NMR submitted : Yes.
Inspection conducted on : 
Proof of Conformity : 
	14 KLD.
	Bus Depot.
	 
	DG set 62.5 KVA .A/E provided.
CTE :N/A
CTO (R) granted on 12.02.2007. valid upto26.11.2008.
Appl for HW submitted.
	Recommended for grant of renewal of consent. Ask the unit to apply for fresh authorization under HWM Rules. Inform to DJB regarding ground water extraction. 
	Issue  renewal of consent. Ask the unit to apply for fresh authorization under HWM Rules. Inform to DJB regarding ground water extraction. 
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	29552
	16-04-2009
	SHOPPER'S STOP LTD.
	PLOT NO 10, SHIVAJI PALACE, DISTRICT CENTRE, RAJA GARDEN
	NC-W
	OPERATE
	BUA :  5832 sqm.
CTE : Applied on 03.07.2008 vide I.D. no 26280
EC : obtained on 26.03.2008 (for M/s R.C. Sood & company pvt.Ltd.)
ED & BG : NA.
Water Consumption :80 KLD
Waste Water generation : 
(a) Domestic effluent: 40 KLD
(b) Trade effluent:NIL 
Date of Commissioning: June 2007
ETP : Yes 
STP : Yes 
Test Report (Water) within limit : Yes, dated 18.02.2010 (except nitrate nitrogen)
Test Report (Air) within limit : Yes 
NMR submitted : Yes dated 15.06.2010 (D.G. Set: 2X1250 KVA & 380 KVA)
Inspection conducted on : 16.01.09 
Proof of Conformity : No
	NIL
	shopping mall
	Decision on 25.03.2009
Send a letter to Delhi College of Engineering for expediting adequacy report and also ask the unit to apply for Consent to Operate. Call on 05.05.2009
Decision on 06.05.2009
Call on 03.06.2009
 Decision on 03.06.2009
Call on 08.07.2009
Decision on 16.04.2010
Consent to Establish submitted by M/s Shopper's Stop Ltd. be made infructuous in view of the fact that action w.r.t. the Consent to Establish of M/s  R.C. Sood is under process.
	Unit submitted various test reports (STP water analysis, DG noise monitoring, Ambient air quality monitoring and energy audit) on 21.07.2010.
Unit submitted its water analysis report of STP on 04.10.2010.
	Ask the unit to submit the fresh effluent analysis report with complete parameters and to take rectification measures to control the suspended solid which are exceeding as per the test report submitted.
	Ask the unit to submit the fresh effluent analysis report with complete parameters and to take rectification measures to control the suspended solid which are exceeding as per the test report submitted.
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	29545
	16-04-2009
	KIC FOOD PRODUCTS PVT LTD.
	ASIAN GAMES VILLAGE, SIRI FORT ROAD
	NC-S
	RENEWAL
	BUA :  571 Sq.mtr
CTE : not applied
EC : N/A
ED & BG : Submitted / Not submitted / NA.
Water Consumption : 25 kld
Waste Water generation : 
(a) Domestic effluent: 5 kld
(b) Trade effluent: 10 kld
Date of Commissioning: Nov 1982 
ETP : Yes
STP :  No. 
Test Report (Water) within limit : Yes
Test Report (Air) within limit :  NA. 
NMR submitted : Yes
Inspection conducted on : no
Proof of Conformity : MCD license valid upto 31.03.11 & police licence dt. 12.05.08 
	15 KL
	Resturant & Catering
	 
	1. DG Set: 250 KVA
2.  NMR submitted on 17.04.2009
3. Adequacy Report dated 09.04.09 & Test Report dated 30.03.09 submitted
4. GW :15000Lt/d
5. Seating capacity: not mentioned.
6. CTO valid upto 27.07.05 with CNO 10387.
7. CTR applied on 22.07.05 vd id no. 15463.
	Ask the unit to apply for consent to establish and submit valid MCD and Delhi Police licences. Inform to DJB regarding ground water extraction.  
	Ask the unit to submit valid MCD and Delhi Police licences. Inform to DJB regarding ground water extraction.  
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	29532
	15-04-2009
	ASHOK HOTEL
	50-B, CHANAKYAPURI
	NC-ND
	RENEWAL
	BUA :  77911.2 sq.m
CTE : 
EC : 
ED & BG :NA
Water Consumption : 690 KLD
Waste Water generation : 
(a) Domestic effluent: 240 KLD
(b) Trade effluent: 240KLD
Date of Commissioning: 1956
ETP : Yes
STP : No. 
Test Report (Water) within limit : Yes.
Test Report (Air) within limit : Yes 
NMR submitted : Yes.
Inspection conducted on : 09.01.2003.
Proof of Conformity : Five star hotel
	425 KLD
	Five star Hotel Industry
	 
	Adequacy report of ETP is submitted.
CTO refused on 12.10.2004.
CTO valid upto 11.09.2008.
	Ask the unit to apply for consent to establish. The unit must use the treated waste water for the entire cooling requirement so that fresh water is conserved and treated waste water get optimally utilized. Ask the unit to submit a feasibility report for installation of Sewage Treatment Plant(STP) for treating the entire waste water and for installation of recycling system for reuse of treated waste water in the cooling tower, toilet flushing, horticulture etc. supported by a water mass balance chart. Unit is also required to submit the status of obtaining the ISO 14001 certification, a fresh effluent analysis report with complete parameters as per new notification from approved laboratory of DPCC. Also unit may be asked to install Solar Water Heating system and ensure use of CFL, BEE labeled equipments to conserve the energy and submit stack monitoring for the D.G. Set of more than 1000 KVA to substantiate the compliance of gazette notification dated 09.07.2002 from approved laboratory of DPCC. Inform to DJB regarding ground water extraction. 
	The unit must use the treated waste water for the entire cooling requirement so that fresh water is conserved and treated waste water get optimally utilized. Ask the unit to submit a feasibility report for installation of Sewage Treatment Plant(STP) for treating the entire waste water and for installation of recycling system for reuse of treated waste water in the cooling tower, toilet flushing, horticulture etc. supported by a water mass balance chart. Unit is also required to submit the status of obtaining the ISO 14001 certification, a fresh effluent analysis report with complete parameters as per new notification from approved laboratory of DPCC. Also unit may be asked to install Solar Water Heating system and ensure use of CFL, BEE labeled equipments to conserve the energy and submit stack monitoring for the D.G. Set of more than 1000 KVA to substantiate the compliance of gazette notification dated 09.07.2002 from approved laboratory of DPCC. Inform to DJB regarding ground water extraction. 
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	29498
	13-04-2009
	P.P. BUILDWELL PVT. LTD. (CONVENTION CENTRE)
	PLOT NO 15, 16, DISTRICT CENRE, JANAKPURI
	NC-W
	OPERATE
	BUA :  4434.3 sqm.
CTE : issued valid upto 24.07.2009
EC :Not applicable. 
ED & BG : Submitted
Water Consumption :45 KLD
Waste Water generation : 
(a) Domestic effluent: 28 KLD
(b) Trade effluent: NIL
Date of Commissioning: 2010
STP : Yes 
Test Report (Water) within limit : not submitted
Test Report (Air) within limit : Not applicable . 
NMR submitted : dated 06.04.2009 (D.G. Set: 125X5 KVA & 50X5 KVA)
Inspection conducted on : 27.06.2008
Proof of Conformity : DDA
	NIL
	convention centre
	Decision on 06.05.2009
Ask the unit to file permission for ground water extraction from DJB as per new notification. 
Decision on 12.06.2009
Issue final reminder. 
	Final reminder issued to the unit regarding ground water extraction on 06.07.2009.
Unit submitted its reply on 21.07.2009 that unit not used grund water in their project.
	Ask the unit to submit the effluent analysis report of STP from approved laboratory of DPCC. 
	Ask the unit to submit the effluent analysis report of STP from approved laboratory of DPCC. Inspection may also be conducted.
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	29493
	13-04-2009
	GENIOUS PROMOTERS & DEVELOPERS PVT. LTD. (SHOP IN PARK)
	PLOT NO 3, CBD GROUND, NEAR KARKARDOOMA COURT, SHAHDARA
	NC-E
	OPERATE
	BUA :  5694.69 sq. meter.
CTE : yes
EC : 
ED & BG :  NA.
Water Consumption :36 kilo ltrs/day
Waste Water generation : 
(a) Domestic effluent:29 kilo ltrs/day 
(b) Trade effluent: nil
Date of Commissioning: Nov 2003.
ETP : No 
STP : No. 
Test Report (Water) within limit : Yes / No / NA.
Test Report (Air) within limit :  NA. 
NMR submitted : Yes / No / NA.
Inspection conducted on : 
Proof of Conformity : 
	No
	Commercial complex.
	23.04.2009:
Issue reminder for STP
03.06.2009.
Ask the unit to install STP. Call on 22.07.2009.
	DG set 2*500 KVA.
CTE :granted on 14.08.2008. valid upto 13.08.2009..
	Inspection be conducted to know the present status. 
	Inspection be conducted to know the present status. 
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	29338
	24-03-2009
	HOTEL UPPAL'S ORCHID
	NH-8, NEAR IGI AIRPORT
	NC-SW
	RENEWAL
	BUA :  7000 sqm.
CTE : not applicable
EC : N/A
ED & BG :  NA.
Water Consumption :75 KLD
Waste Water generation : 
(a) Domestic effluent: 24 KLD
(b) Trade effluent: 15 KLD
Date of Commissioning: Dec, 2002
ETP : Yes 
STP : No
Test Report (Water) within limit : Yes 
Test Report (Air) within limit : Not submitted. 
NMR submitted : dated 20.03.2009 (D.G. Set: 625 KVA & 320X2 KVA)
Inspection conducted on : 29.09.2003
Proof of Conformity : Old MCD licence.
	75 KLD
	Hotel uppal's orchid
	 
	Earlier CTO issued valid upto 29.05.2006.
CTO_R issued valid upto 25.04.2009
	Ask the unit to submit the valid MCD and Delhi Police licences and the clarification regarding existence of hot water boiler as there is no mention in the consent application in deviation of the earlier information submitted. Also ask the unit to submit the fresh effluent analysis report with complete parameters as per new notification from approved laboratory of DPCC and a report on its proposal to install the treated waste water recycling system for reusing the treated water in its cooling tower requirement supoorted by water mass balance chart. Inform to DJB regarding ground water extraction. 
	Ask the unit to submit the valid MCD and Delhi Police licences and the clarification regarding existence of hot water boiler as there is no mention in the consent application in deviation of the earlier information submitted. Also ask the unit to submit the fresh effluent analysis report with complete parameters as per new notification from approved laboratory of DPCC and a report on its proposal to install the treated waste water recycling system for reusing the treated water in its cooling tower requirement supoorted by water mass balance chart. Inform to DJB regarding ground water extraction. 
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	29323
	23-03-2009
	DELHI TRANSPORT CORPORATION, SRINIWAS PURI DEPOT
	SRINIWAS PURI
	NC-S
	RENEWAL
	BUA :  2808.734 Sq.mtr
CTE : not required
EC : N/A
ED & BG :  NA.
Water Consumption : 8 KL/D.
Waste Water generation :  
(a) Domestic effluent: 1 KLD(as per application) & 2 KLD (as per affidavit). 
(b) Trade effluent: 2 KLD(as per application) &   1 KLD (as per affidavit).
Date of Commissioning: May 1975
ETP : Yes .
STP :  No. 
Test Report (Water) within limit : Yes 
Test Report (Air) within limit : N/A. 
NMR submitted : Yes.
Inspection conducted on : N/A
Proof of Conformity : MCD Linence.
	8 KLD
	Repairing & Mantainance of Buses
	 
	1. DG Set: 62.5 KVA
2.  NMR submitted on 21.01.2009
3. Adequacy Report dated March 2009 & Test Report dated 28.02.2009 submitted
4. GW : 8 Lt/D
5. CTO valid upto 22.12.05 with CNO  12200.
6. CTR valid upto 23.12.08 with CNO 17849.
7. HWM Rule Authorization issued on 20.02.2007. Not applied for renewal of authorization. 
	Ask the unit to apply for authorization under HWM Rules. Inform to DJB regarding ground water extraction. 
	Ask the unit to apply for authorization under HWM Rules. Inform to DJB regarding ground water extraction. 
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	29300
	19-03-2009
	COMPTROLLER & AUDITOR GENERAL OF INDIA
	POCKET-9, DEENDAYAL UPADHYAYA MARG
	NC-ND
	OPERATE
	BUA :  13,942.842 Sqm 
CTE : issued and valid upto 04.03.2008
EC : Submitted
ED & BG :Not submitted
Water Consumption :72 KLD
Waste Water generation : 
(a) Domestic effluent: 16 KLD
(b) Trade effluent: NIL
Date of Commissioning: Nov-07
ETP : NA.
STP :  No. 
Test Report (Water) within limit :NA.
Test Report (Air) within limit : No  
NMR submitted : No 
Inspection conducted on :06.08.2008. 
Proof of Conformity : 
	62,000 litres/day.
	Office complex.
	                                           20.02.2009
MS to speak to the cocerned in Controller & Audit General (C&AG) office. Call on 25.03.2009
                         25.03.2009
File be put up administratively.
                          06.05.2009
Ask the unit to file test report of the waste water generated and permission from DJB for ground water extraction as per new notification. Call on 12.06.2009
12.06.2009.
Issue final reminder. Call on 05.08.2009
	D.G set:2*1010 KVA, 1*250 KVA and its stack height is 5.0 m above the roof of the building.
Reply received on 02.07.2009 and 16.07.2009.
	Ask the unit to refer the conditions of the consent to establish and environmental clearance and to file a item-wise compliance report in the form an affidavit within 15 days. Inform to DJB regarding ground water extraction. 
	Ask the unit to refer the conditions of the consent to establish and environmental clearance and to file a item-wise compliance report in the form an affidavit within 15 days. Inform to DJB regarding ground water extraction. 
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	29172
	04-03-2009
	GALLERIA PROPERTY MANAGEMENT SERVICES PVT. LTD.
	DT CITY CENTRE, BLOCK-A, COMMUNITY CENTRE SITE, SHALIMAR BAGH
	NC-NW
	OPERATE
	BUA :  34895.55 sqm
CTE : Applied on 05.04.2005.
EC : Submitted
ED & BG : Not submitted.
Water Consumption :279.5KLD
Waste Water generation : 
(a) Domestic effluent: Nil
(b) Trade effluent: Nil
Date of Commissioning: October 2008
ETP : Yes 
STP : Yes
Test Report (Water) within limit : Yes 
Test Report (Air) within limit : Yes  
NMR submitted : Yes
Inspection conducted on : 30.04.2009.
Proof of Conformity : 
	Nil
	Commecial and retail.
	                   25.03.2009
In view of the submission made, call for personal hearing on 09.04.2009 at 5.15 PM. Issue letter without waiting for minutes. 
                 09.04.2009
The unit came for personal hearing today. It still has certain deficiencies which have not been corrected. A final inspection may be done by SIT-I and submitted to CMC. Call on 05.05.2009 
                     23.04.2009
Call on 08.05.2009 with SIT report.
                      06.05.2009
In response to the SCN issued, the unit claims that it has complied with the conditions but recent SIT inspection dated 30.04.2009, it was noticed that the borewell is still not dismantled. The unit is hereby directed to dismantle the borewell immediately since it contends taking the entire water from the tanker. As observed pipe carrying floor washing water / any waste water be disconnected from the rain water harvesting system in order to avoid contamination of ground water.  Call on 12.06.2009
                     2.06.2009
Issue final reminder. Call on 05.08.2009
                   06.01.2010.
Application be made infructous in view 
of subsequent application dated 25.09.2007 
	CTO  applied on 04.03.2009.
D.G set:3*1010 KVA,1*380 KVA with stack height 5.5m above roof of the building.
	LPA is being filed w.r.t. the Hon'ble High Court order dated 30.09.2010. File be put up administratively.
	Inspection be conducted.
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	29163
	04-03-2009
	DTC GAZIPUR DEPOT
	GAZIPUR
	NC-E
	RENEWAL
	BUA : 14932 Sq. meter
CTE : 
EC : 
ED & BG : NA.
Water Consumption :5.0 kilo lits/day.
Waste Water generation : 
(a) Domestic effluent: 1.8 KLD
(b) Trade effluent: 2.0 kilo ltrs/day.
Date of Commissioning: April 1989.
ETP : Yes .10.02.2009.
STP : No. 
Test Report (Water) within limit :  yes(28.01.2009)
Test Report (Air) within limit :  NA
NMR submitted :yes 11.02.2009. 
	7 KLD
	Repairing& mainteinance and washing of buses only.
	 
	CTE
DG set: 62.5 KVA.
CTO (R) granted on 12.02.2007 valid upto 03.12.2008.
grant under HW:15.07.2004.
Applied for authorization under HW:09.03.2009.
Report for HW submitted:16.01.2006.
	Recommended for grant of renewal of consent. Ask the unit to apply for fresh authorization under HWM Rules. Inform to DJB regarding ground water extraction. 
	Issue  renewal of consent. Ask the unit to apply for fresh authorization under HWM Rules. Inform to DJB regarding ground water extraction. 

	50
	29058
	18-02-2009
	INDRAPRASTHA ICE & COLD STORAGE LTD.
	PLOT NO 17 & 18, NEW SUBZI MANDI, AZADPUR
	NC-NW
	RENEWAL
	BUA : 3553.89m 
CTE : 
EC : NA
ED & BG : NA.
Water Consumption : 1.5 KLD
Waste Water generation : 
(a) Domestic effluent: 0.5KLD
(b) Trade effluent: Nil
Date of Commissioning: 1979
ETP :  NA.
Test Report (Water) within limit :  NA.
Test Report (Air) within limit : NA. 
NMR submitted : Yes
	1 KLD
	Cold Storage.
	 
	D G set: 200 KVA with stack 
height of 3m above roof of 
building.
CTO valid upto 26.12.2005.
CTR valid upto  18.01.2009.
	Recommended for grant of renewal of consent. Inform to DJB regarding ground water extraction. 
	Issue  renewal of consent. Inform to DJB regarding ground water extraction. 

	51
	28990
	12-02-2009
	CIVIL SERVICES OFFICER INSTITUTE
	F-116, M.S. APARTMENTS, KASTURBA GANDHI MARG
	NC-ND
	RENEWAL
	Plot area- 6360 sq mtr 
CTE : No
EC : NA
ED & BG : NA.
Water Consumption : 30KLD
Waste Water generation : 
(a) Domestic effluent: 2000LD
(b) Trade effluent: 3000 LD
Date of Commissioning: 1979
ETP :  NA.
Test Report (Water) within limit :  no
Test Report (Air) within limit : No 
NMR submitted : Yes
	20 KLD 
	 
	                          
	CTO valid upto 02.07.2006
	File be put up administratively. 
	Inspection be conducted.

	52
	28916
	06-02-2009
	DTC KALKAJI DEPOT
	KALKAJI
	NC-S
	RENEWAL
	BUA :  4448.46 Sq.mtr
CTE : not applied
EC : N/A
ED & BG :  NA.
Water Consumption : 12 KLD
Waste Water generation : 
(a) Domestic effluent: 0.25 KLD(as per application) & 2 KLD (as per affidavit)
(b) Trade effluent:  3.50 KLD(as per application) & 1 KLD (as per affidavit)
Date of Commissioning: Nov 1966
ETP : Yes .
STP :  No. 
Test Report (Water) within limit : Yes .
Test Report (Air) within limit : N/A.
NMR submitted : Yes.
Inspection conducted on : N/A
Proof of Conformity :  MCD Linence.
	10 KLD
	Repairing & Mantainance of Buses
	 
	1. DG Set: 60 KVA
2.  NMR submitted on 20.01.2009
3. Adequacy Report dated January 2009 & Test Report dated 01.01.2009 submitted
4. GW : 10 KLD.
5. CTO valid upto 17.12.05 with CNO 6705.
	Ask the unit to apply for consent to establish and fresh authorization under HWM Rules. Inform to DJB regarding ground water extraction. 
	Issue renewal of consent. Ask the unit to apply for fresh authorization under HWM Rules. Inform to DJB regarding ground water extraction. 

	53
	28836
	30-01-2009
	DTC DEPOT-II
	SECTOR-16, ROHINI
	NC-NW
	RENEWAL
	BUA :  1076.51sq.m
CTE : 
EC : NA
ED & BG : NA.
Water Consumption : 14 KLD
Waste Water generation : 
(a) Domestic effluent: 2.8 KLD
(b) Trade effluent: 11.2 KLD.
Date of Commissioning: Nov. 2003.
ETP : Yes 
Test Report (Water) within limit : Yes 
NMR submitted : Yes
	14000l/day.
	Repair and maintainance of CNG buses and washing of buses.
	 
	          D G set: 63 KVA with 25m above roof of building.
CTO valid upto 17.05.2008
AR of ETP submitted October 2004.
	Ask the unit to submit fresh effluent analysis report from approved laboratory of DPCC. Also ask the unit to apply for consent to establish and authorization under HWM Rules. Inform to DJB regarding ground water extraction. 
	Ask the unit to submit fresh adequacy report of ETP from empanelled consultant and effluent analysis report from approved laboratory of DPCC. Also ask the unit to apply for authorization under HWM Rules. Inform to DJB regarding ground water extraction. 

	54
	28824
	30-01-2009
	DTC DEPOT
	HASANPUR
	NC-E
	RENEWAL
	BUA :  28302.65 Sq. meter.
CTE : Not required.
EC : NA
Water Consumption : 16 Kilo liter/day.
Waste Water generation : 
(a) Domestic effluent: 1.8 kilo Liter/day.
(b) Trade effluent: 2 KLD (as per affidavit) 
Date of Commissioning: Nov 1979.
ETP : Yes .(12.01.2009)
Test Report (Water) within limit : Yes 
NMR submitted : Yes.(26.12.2008)
	16 KLD
	Repairing& mainteinance and washing of buses.
	 
	grant under HW: 20.02.2007
CTO (R) granted on12.07.2007 valid upto 12.12.2008
Applied for authorization under HW:22.01.2009.
	Recommended for grant of renewal of consent. Ask the unit to apply for fresh authorization under HWM Rules. Inform to DJB regarding ground water extraction. 
	Issue  renewal of consent. Ask the unit to apply for fresh authorization under HWM Rules. Inform to DJB regarding ground water extraction. 

	55
	28823
	29-01-2009
	DELHI METRO RAIL CORPORATION
	I.T. PARK PROJECT, SHASTRI PARK
	NC-NE
	OPERATE
	BUA : 5200 Sq.mtrs (As per appl.), 30000 as per I/R dated 28.01.2009.
CTE :yes
EC :not submitted. 
ED & BG :  NA.
Water Consumption :450 KLD.
Waste Water generation : 
(a) Domestic effluent: 200 KLD
(b) Trade effluent: 30 KLD
Date of Commissioning: March 2005.
ETP : NO.
STP : Yes (Construction of 650 KLD STP is under process.)
Test Report (Water) within limit : Yes.
Test Report (Air) within limit :  NA. 
NMR submitted : Yes 
Inspection conducted on : 28.01.2009.
	 
	Operation and maintainance of Delhi Metro.
	 
	DG set 1500 KVA.
CTE not applied. 
CTO granted on 24.01.07 valid upto 04.08.08.
	Ask the unit to clarify the present status of the Sewage Treatment Plant (STP) which was found under construction during the inspection conducted in January, 2009 and a comprehensive report on the waste water management with the treatment scheme for all the three blocks constructed / being constructed.
	Ask the unit to clarify the present status of the Sewage Treatment Plant (STP) which was found under construction during the inspection conducted in January, 2009 and a comprehensive report on the waste water management with the treatment scheme for all the three blocks constructed / being constructed. Also inspection be conducted.

	56
	28814
	29-01-2009
	PRAGATI INDIAN OIL PETROL PUMP
	JAWAHARLAL  NEHRU MARG OPP. RAM LILA GROUND, NEAR JAKHIR HUSSAIN COLLEGE
	NC-C
	RENEWAL
	BUA :  1637 Sq.mtr
CTE : not applied
EC : N/A
ED & BG : NA.
Water Consumption : 3100Lt/D
Waste Water generation : 
(a) Domestic effluent: 500Lt/D
(b) Trade effluent: 2500 Lt/D
Date of Commissioning: 1996
ETP : Yes .
STP : No. 
Test Report (Water) within limit : Yes.
NMR submitted : Yes.
Proof of Conformity : Dealership agreement & DDA sanction. 
	2500 Lt/D
	Servicing of Automobiles  cum Service station
	 
	1. DG Set: 50 KVA
2.  NMR submitted on 05.12.2008
3. Adequacy Report dated November 2008 & Test Report dated 30.10.2008 submitted
4. GW : 2500 Lt/D
5. CTO valid upto 21.08.08  with CNO 13806.
6. HWM authorization applied on 20.08.10 vide id no 0378.
	Ask the unit to apply for consent to establish. Inform to DJB regarding ground water extraction. 
	Issue renewal of consent and authorization under HWM Rules. Inform to DJB regarding ground water extraction. 

	57
	28710
	19-01-2009
	G.P.S. PROPERTIES PVT. LTD. (CONSTRUCTION OF WEST GATE MALL)
	DISTRICT CENTRE, SHIVAJI PALACE, RAJA GARDEN
	NC-W
	OPERATE
	BUA :  35961.1 sqm.
CTE : issued valid upto 23.04.2007
EC : obtained on 04.05.2007
ED & BG :  NA.
Water Consumption :1.3 MLD
Waste Water generation : 
(a) Domestic effluent: 80 KLD
(b) Trade effluent:25 KLD 
Date of Commissioning: 2010
STP : Yes (outside the premises at MCD land)
Test Report (Water) within limit : Yes(except phosphate and nitrate nitrogen)
Test Report (Air) within limit : Yes  
NMR submitted : dated 28.05.2007 (D.G. Set: 2X1500 KVA & 500KVA)
Inspection conducted on :09.09.2008 
Proof of Conformity : DDA
	NIL
	construction of shopping mall cum multiplex
	Decision dated 10.09.2008
SIT inspection deficiencies may be indicated to the unit for correction. Call on 07.10.2008
Decision on  06.05.2009
Ask the unit to file affidavit for correction of deficiencies noted by SIT. Call on 12.06.2009
Decision on12.06.2009
Issue final reminder. Call on 05.08.2009.
 Decision on 16.04.10
CTE is not to be issued twice applictaion be made infructrous.
	Letter issued on 23.09.2008 for correction of deficiencies.
Reply received on 05.11.2008 and 15.07.2009
Letter issued to the unit on 24.05.2010 that consent to establish appliaction made infructuous.
	Ask the unit to submit the documentary evidence for the permission obtained for the STP installed outside the premises. Also unit to submit effluent analysis report for the complete parameters being prescribed for the shopping mall from approved laboratory of DPCC and stack monitoring report for the D.G. Set of 1500 KVA to substantiate the compliance of gazette notification dated 09.07.2002 from approved laboratory of DPCC. Inspection may also be conducted.
	Ask the unit to submit the documentary evidence for the permission obtained for the STP installed outside the premises. Also unit to submit effluent analysis report for the complete parameters being prescribed for the shopping mall from approved laboratory of DPCC and stack monitoring report for the D.G. Set of 1500 KVA to substantiate the compliance of gazette notification dated 09.07.2002 from approved laboratory of DPCC. Inspection may also be conducted.

	58
	28659
	14-01-2009
	DTC
	GTK ROAD
	NC-NW
	RENEWAL
	BUA :  2703.66m
CTE : 
EC : NA
ED & BG :  NA.
Water Consumption :28.50 KLD
Waste Water generation : 
(a) Domestic effluent: 8 KLD
(b) Trade effluent: 16000 KLD
Date of Commissioning: 1978
ETP : Yes
STP :  No. 
Test Report (Water) within limit : No
Test Report (Air) within limit : NA. 
NMR submitted : Yes
	700 l/day
	Repair and maintainance of CNG buses and washing of buses.
	 
	D G set: 62.5 KVA with stack 
height of 3.5m above roof
 of building.
CTO valid upto 11.12.2005
AR of ETP submitted.
	Issue SCN for refusal of consent in view of non operation of ETP and concentration of oil & grease exceeding the prescribed limit as per the test report. Ask the unit to apply for consent to establish and authorization under HWM Rules. Inform to DJB regarding ground water extraction. 
	Issue SCN for refusal of consent in view of non operation of ETP and concentration of oil & grease exceeding the prescribed limit as per the test report. Ask the unit to apply for authorization under HWM Rules. Inform to DJB regarding ground water extraction. 

	59
	28610
	06-01-2009
	COMMERCIAL COMPLEX " RING ROAD MALL" BY JAKSONS BUILDWELL PVT. LTD.
	PLOT NO 21, MANGALAM PLACE, SECTOR-03, ROHINI
	NC-NW
	OPERATE
	BUA :  23460 m2
CTE : Granted and valid upto 08.04.2009. 
EC : submitted
ED & BG : NA
Water Consumption :188.50 KLD   
Waste Water generation : 
(a) Domestic effluent: 60 KLD
(b) Trade effluent: NIL
Date of Commissioning: OCTOBER 2007.
ETP : NA.
STP : Yes 
Test Report (Water) within limit : Yes
Test Report (Air) within limit : No
NMR submitted : Yes 
	MCD-231 KLD   GW-320 KLD   DIS.-347 KLD
	Establishment of commercial complex.
	Perusal of the record shows that the six monthly reports on compliance of Environmental Clearance conditions have not been filed by the unit in DPCC as required by DPCC. The deficiencies found by the SIT were indicated to the unit through a SCN whose reply is also not adequate as indicated in our rejoinder sent to unit. Since the matter is listed for hearing in Hon’ble High Court on 19.09.2008, matter will be taken up on 30.09.2008. Call on 30.09.2008.
	AR of STP subm,itted on 28.07,2008.
D.G set :1250 KVA * 3 and 500 KVA *1
Letter issued on 21.05.09.
Reply received on 11.06.09 stating that we have applied for ground water testing to DCE and will submit the report after receiving the same.
Regarding DJB permission unit stated that CGWA is transferring the cases to DJB for such approval and the same will be submitted after receiving it.rEPLY RECEIVED ON 24.07.2009. ALONG WITH TEST REPORT FOR GROUND WATER.
	Ask the unit to submit the fresh effluent analysis report with complete parameters and stack monitoring report for the D.G. Sets of more than 1000 KVA to substantiate the compliance of gazette notification dated 09.07.2002 from approved laboratory of DPCC.  Also ask the unit to submit fresh noise monitoring report in the worst scenario i.e. all the D.G. Sets are in operational condition. Also ask the unit to submit the present status of environmental clearance conditions on an affidavit. Inform to DJB regarding ground water extraction. 
	Ask the unit to submit the fresh effluent analysis report with complete parameters and stack monitoring report for the D.G. Sets of more than 1000 KVA to substantiate the compliance of gazette notification dated 09.07.2002 from approved laboratory of DPCC.  Also ask the unit to submit fresh noise monitoring report in the worst scenario i.e. all the D.G. Sets are in operational condition. Also ask the unit to submit the present status of environmental clearance conditions on an affidavit. Inform to DJB regarding ground water extraction. 

	60
	28609
	06-01-2009
	ADITYA MEGA MALL MAINTAINED BY AA CBD MAINTENANCE SERVICES PVT. LTD.
	CONSTRUCTED BY M/S AGARWAL ASSOCIATES (PROMOTERS) LTD., 9D, CBD SHAHDARA
	NC-E
	OPERATE
	BUA :  9145.24 Sq. mts.
CTE : Yes.
EC : NA
ED & BG :submitted.
Water Consumption :6000 lits/day at present,(30,000 lits/day at full strength operation)
Waste Water generation : 
(a) Domestic effluent:4000 L/D 
(b) Trade effluent: Nil
Date of Commissioning: 2007.
STP : Yes (Jan 2009).
Test Report (Water) within limit : Yes .
NMR submitted : Yes.10.12.2008.
Inspection conducted on : 19.02.2009.
	No
	Shoping cum commercial complex.
	13.08.2008:
Submitt BG of 40 lakhs.
24.11.2008:
Apply for CTO, failing which BG will be forefeited.call on 07.01.2009.
20.02.2009:
correct the deficiencies observed during inspection.
02.04.2009.
call on 12.05.2009.

12.06.2009:
File DJB permission for ground water extraction.
	DG set 500*1 KVA.
CTE :granted on 10.02.2008 valid upto 09.09.2009.
BG: submitted (40 lakh,04.09.2008)
Applied for authorisation under HW,10.06.2009.
	Inspection be conducted.
	Inspection be conducted.

	61
	28572
	02-01-2009
	GAHOI BUILDWELL LTD ( COMMERCIAL COMPLEX V3S MALL AT LAXMI NAGAR
	701, MERCANTILE HOUSE, 15, K.G. MARG CONNAUGHT PLACE
	NC-E
	OPERATE
	BUA :  5189.19 Sq. mtrs.
CTE : Yes
EC : NA
ED & BG : NA.
Water Consumption :95 KLD
Waste Water generation : 
(a) Domestic effluent: 70 KLD
(b) Trade effluent: nil 
Date of Commissioning: July 2006.
STP : Yes
Test Report (Water) within limit : Yes .
Test Report (Air) within limit :  NA. 
NMR submitted : Yes 
Inspection conducted on : 18.02.2009.
	 
	Commercial complex. V3S mall.
	15.10.2008.
Ask the unit to file A/R & also apply for CTO.
24.11.2008
call on 07.012009.
02.04.2009:
Ask the unit to file CGWA clearence.
12.06.2009
Ask the unit to file full compliance. Call on 05.08.2009.
	DG set 250*1,380*1, 500*1 KVA.
CTE :granted on 19.08.2008. valid upto 18.08.2009..
CTO  Applied.
	Inspection be conducted.
	Inspection be conducted.

	62
	28503
	29-12-2008
	DELHI COLD STORAGE PVT. LTD
	15-16, NEW SUBZI MANDI, AZADPUR
	NC-NW
	RENEWAL
	BUA :   1453 sq m
CTE : 
EC : NA
ED & BG : NA.
Water Consumption : 500 l/day
Waste Water generation : 
(a) Domestic effluent: 500 l/day
(b) Trade effluent: Nil
Date of Commissioning: 1975
ETP :  NA.
STP :  No. 
Test Report (Water) within limit :  NA.
Test Report (Air) within limit :  NA. 
NMR submitted :  No 
Inspection conducted on : 
Proof of Conformity : 
	Nil
	Cold Storage
	 
	D G setr:125 KVA.
CTO  renewal valid upto 03.01.2009.
	Recommended for renewal of consent with the condition to take safety measures w.r.t. use of amonia as per MSIHC Rules, 1989.
	Issue renewal of consent with the condition to take safety measures w.r.t. use of amonia as per MSIHC Rules, 1989.

	63
	28502
	29-12-2008
	RAJPAL AHUJA COLD STORAGE
	1, NEW SUBZI MANDI, AZADPUR
	NC-NW
	RENEWAL
	BUA :  552.04 sq.m 
CTE : 
EC : NA
ED & BG : NA.
Water Consumption : 300 l/day
Waste Water generation : 
(a) Domestic effluent:300 l/day 
(b) Trade effluent: Nil
Date of Commissioning: 1977
ETP : No.
STP : No. 
Test Report (Water) within limit : NA.
Test Report (Air) within limit : NA. 
NMR submitted : NA.
Inspection conducted on : 
Proof of Conformity : 
	Nil
	Cold Storage
	 
	CTO  renewal valid upto 12.01.2009.
	Recommended for renewal of consent with the condition to take safety measures w.r.t. use of amonia as per MSIHC Rules, 1989.
	Issue renewal of consent with the condition to take safety measures w.r.t. use of amonia as per MSIHC Rules, 1989.

	64
	28490
	26-12-2008
	PARSVNATH METRO MALL
	PRATAP NAGAR METRO STATION PRATAP NAGAR
	NC-N
	OPERATE
	BUA :  2550.465sqm
CTE : yes
EC : NA
ED & BG : Submitted 
Water Consumption :17000lpd
Waste Water generation : 
(a) Domestic effluent: 7700lpd
(b) Trade effluent: Nil
Date of Commissioning:December,2008 
ETP :  NA.
STP : No
Test Report (Water) within limit : Not Submitted
Test Report (Air) within limit :  Not Submitted
NMR submitted : Yes 
Inspection conducted on : 29.04.2008
Proof of Conformity : NA
	1700lpd(as per affidvit)
	comercial Complex
	                        11.03.2008
Last and final reminder  asking them to file Consent to Establish & environmental clearance. Also ask the unit to file an affidavit indicating the date of construction & date of completion. Unit will also file approved architectural drawing. Take up on 25.3.08.
                           03.04.2008
Concerned CMC to inspect and report factually on 10.04.2008.
                            11.04.2008
SIT will inspect and report by 30.04.2008.
                             01.05.2008
SIT inspection confirms the claim of the unit that Environmental Clearance is not required. However, two D.G Sets were found in operational and Consent to Establish application indicates waste water generation to the tune of approximately 7.5 KLD. Let the unit file the noise monitoring report of D.G. Sets. Call on 03.06.2008. 
                         28.5.08
Call on 03.06.2008.
                              18.06.2008
Time allowed till 18.07.2008.
                              13.08.2008
Ask the unit to submit noise monitoring report by 10.09.2008.
                        10.09.2008
Call for personal hearing on 30.09.2008 at 7.00 PM.
                        30.09.2008
The unit came for personal hearing today. The unit has completed the construction and but yet not started its operation. Unit has to pay damages as a cash penalty of 0.5 % of the project cost and 0.5 % of the project cost as Bank Guarantee valid upto three years by 30.10.2008. The unit agreed to do so. Call on 30.10.2008.
                       05.11.2008
Ask the unit to apply for CTO. Call on 10.12.2008
                       17.11.2008
CTE is issued only once. The unit should check its own premises properly as letter of CTE has not received back in DPCC. Ask the unit to apply for CTO. Call on 10.12.2008.
                         11.12.2008
Point out the deficiencies in Consent to Operate application. Ask the unit to file the same afresh. Call on 14.01.2009
                           14.01.2009
Since the expected data is above the norms, ask the unit to install STP. Call on 04.03.2009.
                           04.03.2009
Issue reminder. Call on 09.04.2009
                       09.04.2009
Call for personal hearing on 12.05.2009 at 5.30 PM.
                       15.05.2009
The unit came for personal hearing today. It assures that it will set up the STP within 01 month. Unit be asked to file adequacy report from empanelled consultant of DPCC for the STP installed. Call on 01.07.2009.

  11.12.2008
Point out the deficiencies in Consent to Operate application. Ask the unit to file the same afresh. Call on 14.01.2009
                           14.01.2009
Since the expected data is above the norms, ask the unit to install STP. Call on 04.03.2009.
                           04.03.2009
Issue reminder. Call on 09.04.2009
                       09.04.2009
Call for personal hearing on 12.05.2009 at 5.30 PM.
                       15.05.2009
The unit came for personal hearing today. It assures that it will set up the STP within 01 month. Unit be asked to file adequacy report from empanelled consultant of DPCC for the STP installed. Call on 01.07.2009.
	Letter for adequacy report of STP was issued on 03.06.09.
Reply awaited.
CTE issued on 31.10.2008 valid til 30.10.2009
	Issue SCN for refusal of consent as unit has not submitted the response w.r.t. letter dated 03.06.2009. Inform to DJB regarding ground water extraction. 
	Issue SCN for refusal of consent as unit has not submitted the response w.r.t. letter dated 03.06.2009. Inform to DJB regarding ground water extraction. 

	65
	28433
	19-12-2008
	DELHI TRANSPORT CORPORATION
	DICHAON KALLAN DEPOT
	NC-SW
	RENEWAL
	BUA :  1665.856 sqm.
CTE : not applied
EC : not applicable
ED & BG :  NA.
Water Consumption :20 KLD
Waste Water generation : 
(a) Domestic effluent: 10 KLD 
(b) Trade effluent: 10 KLD
Date of Commissioning: 1974
ETP : Yes 
Test Report (Water) within limit : Yes
Test Report (Air) within limit : NA 
NMR submitted : Yes(D.G. Set: 62.5 KVA)
Inspection conducted on : 28.05.2003
	20 KLD (corporation/ground water)
	Bus repair and washing
	 
	Earlier CTO issued valid upto 11.12.2005.
CTR issued valid upto 26.12.2008
Autorization under hazardous waste granted on 16.04.2007.
	Recommended for grant of renewal of consent. Ask the unit to apply for fresh authorization under HWM Rules. Inform to DJB regarding ground water extraction. 
	Issue  renewal of consent. Ask the unit to apply for fresh authorization under HWM Rules. Inform to DJB regarding ground water extraction. 

	66
	28427
	19-12-2008
	DELHI TRANSPORT CORPORATION
	MAYAPURI DEPOT
	NC-SW
	RENEWAL
	BUA :  2362 sqm.
CTE : not applied
EC : not applicable
ED & BG :  NA.
Water Consumption :900 LPD
Waste Water generation : 
(a) Domestic effluent: 300 LPD
(b) Trade effluent: 0.75 LPD
Date of Commissioning: 21.09.1974
ETP : Yes 
Test Report (Water) within limit : Yes 
NMR submitted : Yes, dated 19.12.2008 (D. G. Set: 62.2 KVA & 125 KVA)
Inspection conducted on : 22.05.2003
	900 LPD (corporation and ground water)
	Repair, Maintenancee, Servicing and washing of CNG buses
	 
	Earlier CTO issued valid upto 22.12.2005.
CTR issued valid upto 22.12.2008
Freas authorization under hazardous waste granted on 15.07.2004. Further, applied on 12.06.2006.
	Recommended for grant of renewal of consent. Ask the unit to apply for fresh authorization under HWM Rules. Inform to DJB regarding ground water extraction. 
	Issue  renewal of consent. Ask the unit to apply for fresh authorization under HWM Rules. Inform to DJB regarding ground water extraction. 

	67
	28418
	18-12-2008
	BULAKI COLD STORAGE PVT. LTD
	PLOT NO-6, NEW SUBZI MANDI AZADPUR
	NC-NW
	RENEWAL
	BUA :  Not mentioned (plot area:897.45 sq.m)
CTE : 
EC : 
ED & BG : NA.
Water Consumption :600 -1000 LD
Waste Water generation : 
(a) Domestic effluent: 600 litre
(b) Trade effluent: Nil
Date of Commissioning: 1977.s
ETP : NA.
STP :  No. 
Test Report (Water) within limit : NA.
Test Report (Air) within limit : NA. 
NMR submitted : NA.
Inspection conducted on : 
Proof of Conformity : 
	Yes amount not mentioned.
	Cold Storage
	 
	CTO  renewal valid upto 19.01.2009.
	Recommended for renewal of consent with the condition to take safety measures w.r.t. use of amonia as per MSIHC Rules, 1989.
	Issue renewal of consent with the condition to take safety measures w.r.t. use of amonia as per MSIHC Rules, 1989.

	68
	28413
	18-12-2008
	DELHI TRANSPORT CORPORATION
	KESHOPUR DEPOT-26, OUTER RING ROAD
	NC-W
	RENEWAL
	BUA :  19770 sqm. (plot area)
CTE : not applied
EC : not applicable
ED & BG :  NA.
Water Consumption :13.04 KLD
Waste Water generation : 
(a) Domestic effluent: 04 KLD
(b) Trade effluent: 01 KLD
Date of Commissioning: 
ETP : Yes 
Test Report (Water) within limit :  Yes (except oil and grease)
NMR submitted : Yes, dated 11.12.2008 (D.G. Set: 62.5 KVA)
Inspection conducted on : 27.08.2004
	1.8 KLD
	Servicing washing and repair of DTC buses.
	Unit submitted its reply on 21.04.2010 for obtaining CTO_R which unih have already applied on 18.12.2008.
	Earlier CTO issued valid upto 22.12.2005.
CTR issued valid upto 22.12.2008.
Authorization underhazardous waste granted on 15.07.2004
	Recommended for grant of renewal of consent. Ask the unit to apply for fresh authorization under HWM Rules. Inform to DJB regarding ground water extraction. 
	Issue  renewal of consent. Ask the unit to apply for fresh authorization under HWM Rules. Inform to DJB regarding ground water extraction. 

	69
	28411
	17-12-2008
	DELHI TRANSPORT CORPORATION
	HARI NAGAR DEPOT-III
	NC-W
	RENEWAL
	 
	 
	 
	 
	 
	File be put up administratively. 
	File be put up administratively. 

	70
	28410
	17-12-2008
	DELHI TRANSPORT CORPORATION
	HARI NAGAR DEPOT-I
	NC-W
	RENEWAL
	BUA :  3072.214 sqm.
CTE : not applied
EC : not applicable
ED & BG : NA.
Water Consumption :38.5 KLD
Waste Water generation : 
(a) Domestic effluent:8 KLD 
(b) Trade effluent: 28.5 KLD
Date of Commissioning: July 1961
ETP : Yes 
Test Report (Water) within limit : Yes 
Test Report (Air) within limit : Yes 
NMR submitted : Yes, dated 11.12.2008 (D.G. Set: 125 KVA)
	38.5 KLD (corperation and ground water)
	Repair and maintenance
	Unit submitted its reply on 15.11.2010 for not obtaining CTO_R which unit have applied on 17.12.2010.
	Earlier CTO issued valid upto 22.12.2005.
CTR issued valid upto 22.12.2008.
	Recommended for grant of renewal of consent. Ask the unit to apply for fresh authorization under HWM Rules. Inform to DJB regarding ground water extraction. 
	Issue  renewal of consent. Ask the unit to apply for fresh authorization under HWM Rules. Inform to DJB regarding ground water extraction. 

	71
	28251
	01-12-2008
	DELHI TRANSPORT CORPORATION
	WAZIRPUR DEPOT
	NC-NW
	RENEWAL
	BUA :  2192.537 sq.m
CTE : 
EC : NA
ED & BG : NA.
Water Consumption :11 KLD
Waste Water generation : 
(a) Domestic effluent: 0.6 KLD
(b) Trade effluent: 01 KLD
Date of Commissioning: 1974
ETP : Yes 
STP : No. 
Test Report (Water) within limit : Yes
Test Report (Air) within limit : Yes
NMR submitted : NA.
Inspection conducted on : 
Proof of Conformity : 
	11 KLD
	Repair and maintainance of CNG buses and washing of buses.
	 
	No D G set.
	Issue SCN for refusal of consent in view of the existence of the bypass indicating in the test report specifically indicating the prosecution procedure against the Depot Manager of DTC who is controlling affairs of the Depot. Ask the unit to apply for fresh authorization under HWM Rules. Suitable instructions be issued to DPCC laboratory for not collect the grab samples form the bypass arrangement as the same are not the true representative samples of the waste water generated from such establishment.  Inform to DJB regarding ground water extraction. 
	Issue SCN for refusal of consent in view of the existence of the bypass indicating in the test report specifically indicating the prosecution procedure against the Depot Manager of DTC who is controlling affairs of the Depot. Ask the unit to apply for fresh authorization under HWM Rules. Suitable instructions be issued to DPCC laboratory for not collect the grab samples form the bypass arrangement as the same are not the true representative samples of the waste water generated from such establishment.  Inform to DJB regarding ground water extraction. 

	72
	28205
	25-11-2008
	SEWA INTERNATIONAL FASHION LTD
	PLOT NO-7, SHIVAJI PLACE, DISTRICT CENTRE, RAJA GARDEN
	NC-W
	OPERATE
	BUA :  15,826.90 sqm.
CTE : issued on 22.07.2008
EC : N/A                                                                                                                                                                                                                                                                                                                                            
ED & BG : Submitted 
Water Consumption :88.58 KLD
Waste Water generation : 
(a) Domestic effluent: 41.87 KLD
(b) Trade effluent: NIL
Date of Commissioning: Dec 2005
ETP : Yes 
STP : Yes 
Test Report (Water) : Yes. BOD is more than 20 mg/litre and complete parameters not submitted.
Test Report (Air) within limit : Yes
NMR submitted : dated 15.10.2008 .(D.G. Set:2X1250 KVA & 500 KVA)
Inspection conducted on : 20.02.2009
Proof of Conformity : N/A
	N/A
	shopping mall
	Decision on 07.01.2009
SIT-II to inspect and also to report on whether unit requires environmental clearance or not. Call on 18.02.2009
Decision on 20.02.2009
Ask the unit to correct the deficiencies noted by SIT and file environmental clearance. Call on 25.03.2009.
Decision on 06.05.2009
Ask the unit to file ground water permission from DJB as per new notification and compliance of installation of solar water heating system. Call on 12.06.2009
 Decision on 12.06.2009
Issue final reminder. Call on 05.08.2009
	Letter issued to the unit on 17.03.2009 for correction of deficiences noted by SIT and file environmental clearance. 
Reply received on 02.04.2009
Final reminder issued to the unit on 22.05.2009.
Unit submitted its reply on 21.07.2009  and stated that they had alredy applied for ground water permission from CGWA & requst us to provide additional 15 days for installation of solar water heating system.   
D.G Set of 2X1250 KVA& 1X500 KVA having common facility for both unit (sewa international and discovery estate)   
SMR submiteed dated 13.10.2008
Unit was submitted that they not required environmental clearance as built up area is less than 20000 sqm even directions of CMC to apply for environmental clearance after SIT inspection.
	Issue SCN for refusal of consent.
	Issue SCN for refusal of consent.

	73
	28204
	25-11-2008
	DISCOVERY ESTATE PVT. LTD
	PLOT NO 8, SHIVAJI PLACE, DISTRICT CENTRE, RAJA GARDEN
	NC-W
	OPERATE
	BUA :  11791.66 sqm.
CTE : issued valid upto 21.07.2009
EC : N/A
ED & BG : Submitted / Not submitted / NA.
Water Consumption :78.92 KLD
Waste Water generation : 
(a) Domestic effluent: 36.13 KLD
(b) Trade effluent: NIL
Date of Commissioning: dec, 2005
ETP : Yes
STP : Yes . 
Test Report (Water) : Yes. BOD is more than 20 mg/litre and complete parameters not submitted. 
Test Report (Air) within limit : Yes 
NMR submitted :dated 15.10.2008.(D.G. Set: 2X1250 KVA & 1X500 KVA)
Inspection conducted on : 20.02.2009
Proof of Conformity : N/A
	N/A
	shopping mall
	Decision on 07.01.2009
SIT-II to inspect and also to report on whether unit requires environmental clearance or not. Call on 18.02.2009
Decision on 20.02.2009
Ask the unit to correct the deficiencies noted by SIT and file environmental clearance. Call on 25.03.2009.
Decision on 06.05.2009
Ask the unit to file ground water permission from DJB as per new notification and compliance of installation of solar water heating system. Call on 12.06.2009
 Decision on 12.06.2009
Issue final reminder. Call on 05.08.2009
	Letter issued to the unit on 17.03.2009 for correction of deficiences noted by SIT and file environmental clearance. 
Reply received on 02.04.2009
Final reminder issued to the unit on 22.05.2009.
Unit submitted its reply on 21.07.2009  and stated that they had alredy applied for ground water permission from CGWA & requst us to provide additional 15 days for installation of solar water heating system.   
D.G Set of 2X1250 KVA& 1X500 KVA having common facility for both unit (sewa international and discovery estate)   
SMR submiteed dated 13.10.2008
Unit was submitted that they not required environmental clearance as built up area is less than 20000 sqm even directions of CMC to apply for environmental clearance after SIT inspection.
	Issue SCN for refusal of consent.
	Issue SCN for refusal of consent.

	74
	28165
	21-11-2008
	BHARAT PETROLEUM CORPORATION LTD
	BIJWASAN INSTALLATION, BIJWASAN
	NC-SW
	RENEWAL
	BUA :  48562.8 sqm.
CTE : issued on 25.01.2005
EC : accorded on 11.03.2005
ED & BG :  NA.
Water Consumption :1.4 KLD
Waste Water generation : 
(a) Domestic effluent: 1.2 KLD
(b) Trade effluent: N/A
Date of Commissioning: 1987
ETP :  No
STP :  No. 
Test Report (Water) within limit : No 
Test Report (Air) within limit : Yes
NMR submitted : Yes, dated 19.11.2008.(D.G. Set: 160 KVA, 250 KVA & 320 KVA)
Inspection conducted : No
Proof of Conformity : No
	1400 LPD
	Storage and distribution of petroleum product
	 
	Earlier CTE issued valid upto 01.06.2005.
CTE issued valid upto 24.01.2006 for the activity laying pipeline for petroleum products.
CTO issued twice valid upto 04.07.2005 for the activity of  receiving, storage and distribution of petroleum product & 04.08.2006 in the activity of laying pipeline for petroleum products.
CTO_R issued valid upto 21.11.2008.
 Applied for renewal of authorization under HWM Rules on 08.04.2009
Unit submitted its reply on 15.04.2010 regarding CTO_R and HWM authorization which unit have already applied on 21.11.2008 & 08.04.2009 respectively.
	File be put up administratively. 
	File be put up administratively. 

	75
	28141
	20-11-2008
	DELHI AZADPUR COLD STORAGE
	PLOT NO-5, NEW SUBZI MANDI AZADPUR
	NC-NW
	RENEWAL
	BUA :  552.04 sq.m 
CTE : 
EC : NA
ED & BG : NA.
Water Consumption : 1 KLD
Waste Water generation : 
(a) Domestic effluent: 300l/day
(b) Trade effluent: Nil
Date of Commissioning: 1977
ETP : NA.
STP : Yes / No. 
Test Report (Water) within limit :  NA.
Test Report (Air) within limit : NA 
NMR submitted : NA
Inspection conducted on : 
Proof of Conformity : 
	Nil
	Cold Storage
	 
	CTO  renewal valid upto 27.12.2008.
	Recommended for renewal of consent with the condition to take safety measures w.r.t. use of amonia as per MSIHC Rules, 1989.
	Issue renewal of consent with the condition to take safety measures w.r.t. use of amonia as per MSIHC Rules, 1989.

	76
	28129
	19-11-2008
	METROPOLITAN MALL ( MGF DEVELOPMENTS LTD)
	A2 & P2A, DISTRICT CENTRE SAKET
	NC-S
	OPERATE
	BUA :   Plot A2  :  23368.27 Sq.mtr  
            Plot P2A : 8162.99  Sq.mtr
CTE : issued on 25.06.08
EC : submitted dated on 15.05.07
ED & BG : Submitted .
Water Consumption :  114.4KLD
Waste Water generation : 
(a) Domestic effluent: 80KLD
(b) Trade effluent: Nil
Date of Commissioning: December 2007
STP : Yes. 
Test Report (Water) within limit : Yes .
Test Report (Air) within limit : Yes.
NMR submitted : Yes 
Inspection conducted on : 19.02.2009
Proof of Conformity : NOT SUBMITTED
	Not applicable
	Commercial  
( Shopping Mall )
	 
	1. DG Set: 1250 KVA, 1250 KVA, 1250 KVA, 750 KVA
2.  NMR submitted on 15.102008
3. Adequacy Report (Technical)  dated october 2008 & Test Report not submitted
4. GW : Not applicable
5. CTE valid upto 24.06.08with CNO  18619.
6. Inspection conducted on 19.02.2009. As decided in CMC on 20.02.2009, letter was issued to the unit on 18.03.2009 to clarify through an affidavit as the treated water has been shown zero to 15 KLD. However, the unit is generating 100 KLD waste water as per CTE. Unit was also asked to raise the stack height of the D.G.Set and install solar water heating system and file energy conservation measures. 
Reply received on 02.04.2009.
As decided in CMC on 02.04.2009, final reminder issued on 24.04.2009.
Reply received on 11.05.2009.
As decided in CMC on 12.05.2009, letter issued on 26.06.2009 to submit proper affidavit clearly stating amount of waste water discharged along with water mass balance chart. Also remove the D.G. Set and confirm on an affidavit.
Reply received on 17.07.2009 along with an affidavit. 
	Ask the unit to submit fresh effluent analysis report for complete parameters from approved laboratory of DPCC.
	Ask the unit to submit fresh effluent analysis report for complete parameters from approved laboratory of DPCC.

	77
	27981
	03-11-2008
	SAND PLAST (INDIA) LTD
	DVB POND, ADJACENT TO NAGLA MACHIN CNG FILLING STATION, RING ROAD
	NC-C
	RENEWAL
	BUA : 10848 Sq.mtr 
CTE : issued on 02.03.05
EC : N/A
ED & BG :  NA.
Water Consumption : 155 KL/D
Waste Water generation : 
(a) Domestic effluent: Nil on Application & 1KL on affidavit
(b) Trade effluent: Nil
Date of Commissioning: 01.07.2006
ETP : NA.
STP :  No. 
Test Report (Water) within limit :  NA .
Test Report (Air) within limit :  Not submitted. 
NMR submitted :  NA.
Inspection conducted on : 21.02.06
Proof of Conformity : MCD Linence submitted on 20.12.2005
	155KL/D
	Mfg. of Fly Ash Sand Lime Brick
	                        17.04.06
Consent to operate granted with conditions.
	1. DG Set:N/A
2.  NMR  not submitted
3. Adequacy Report not submitted
4. GW : 155KL/D, CGWA/DJB  clearence not mentioned.
5. CTO valid upto 19.12.08 with CNO  14291.
6. CTE valid upto 01.03.06 with CNO  12375.
7. CTE valid upto 10.02.04 with CNO  3131.
8. 1 CNG boiler exist, SMR not submitted. 
	Recommended for grant of renewal of consent. Inform to DJB regarding ground water extraction. 
	Inspection be conducted. Inform to DJB regarding ground water extraction. 

	78
	27837
	17-10-2008
	GYMKHANA SERVICE STATION
	CLUB ROAD, RACE COURSE
	NC-ND
	RENEWAL
	BUA :  636sq.ft. :
CTE : 
EC : NA
ED & BG : Submitted.
Water Consumption :6.5KLD
Waste Water generation : 
(a) Domestic effluent: 0.5KLD
(b) Trade effluent: 6.5KLD 
Date of Commissioning:  1997
ETP : Yes
STP :  No. 
Test Report (Water) within limit : Yes 
Test Report (Air) within limit :  NA. 
NMR submitted : Yes 
Inspection conducted on :  03.06.2009
Proof of Conformity : 
	1KLD.
	Gymkhana service station(car wash unit)
	11.05.2009-Call on 24.06.2009 with SIT-II report.
16.03.2009- SIT-II to inspect and report.Call on 29.04.2009
24.06.2009-I ssue SCN for closure based on SIT report.
05.08.2010.
Inspection be conducted. 
	One DG set of  50 KVA installed with 2m 2ft above roof of the building.
SCN u/s 5 of EPA sent on 22.07.2009.
AR of ETP submitted.
CTO valid upto 20.10.2008. 
	Inspection be expedited. Inform to DJB regarding ground water extraction. 
	Inspection done. Issue SCN for refusal of consent, SCN u/s 33(A) of the Water Act, SCN u/s 31(A) of the Air Act, and u/s 5 of EPA based on findings of inspection.

	79
	27417
	19-09-2008
	HOTEL DIPLOMAT
	9, SARDAR PATEL MARG
	NC-ND
	RENEWAL
	BUA :  Not mentioned (plot area: 2200 sq. yards).
CTE : Not applied.
EC : Not applied.
ED & BG : Not submitted
Water Consumption : 25m3/day.
Waste Water generation : 
(a) Domestic effluent: 3m3/day
(b) Trade effluent: 15m3/day
Date of Commissioning: 1968
ETP : Yes 
STP : No. 
Test Report (Water) within limit : Yes 
Test Report (Air) within limit :  Not submitted. 
NMR submitted : Yes 
Inspection conducted on : 23.10.2002.
	Nil
	Hotel
	 
	CTO valid upto 24.07.2005.
CTR valid upto 14.07.2008.
AR of ETP submitted.
	Requirement of the stack monitoring report w.r.t CNG boiler be discussed in CMC.  Inspection may be conducted as the details of the aeration tank is missing from the adequacy report. 
	Inspection may be conducted as the details of the aeration tank is missing from the adequacy report. 

	80
	27384
	17-09-2008
	HOTEL QUEEN ROAD PVT. LTD
	19, ASHOKA ROAD
	NC-ND
	OPERATE
	BUA :  2136.21 sq.m
CTE : Valid upto 31.05.2007. 
EC : NA
ED & BG : Submitted / Not submitted / NA.
Water Consumption : 155 KLD
Waste Water generation : 
(a) Domestic effluent: 60 KLD
(b) Trade effluent: 65 KLD
Date of Commissioning: 2008
ETP : No 
STP : Yes. 
Test Report (Water) within limit : Yes (Only TSS exceeds upper limit)
Test Report (Air) within limit : Yes  
NMR submitted : Yes
Inspection conducted on : 29.08.2008.
Proof of Conformity : 
	 
	Hotel
	09.04.2009- Ask the unit to file an affidavit on the following points:-
(i) Installation of solar water heating system 
(ii) Conversion of oil fired burner into gas burner 
(iii) Stack height of the D.G. Set atleast 5 meter above the building height 
(iv) Compliance of building code of BEE  
(v) Apply for permission for ground water drawl from DJB.
Call on 19.05.2009.
11.05.2009-Ask the unit to explain why it has started operations without submitting DJB permission for ground water extraction. Also ask the unit to explain why it has started operations without full compliance of earlier CMC decisions where it was asked to file an affidavit on five points.  Let it be clear to the unit that operating without Consent to Establish and Consent to Operate it will be liable for causing damage to the environment. 
03.06.2009-Issue final reminder for full compliance asked vide letter dated 13.05.2009 til then unit should operate. Call on 22.07.2009
16.04.2010.
Issue SCN for deficiencies.
	D G set:630 KVA with stack height above 3m above roof level.
Technical assesment report of STP.
One boiler exists (CNG).
	Inspection be conducted.
	Inspection be conducted.

	81
	27259
	09-09-2008
	K.K. BIRLA ACADEMY
	PLOT NO-2, PHASE-II, VASANT KUNJ
	NC-SW
	OPERATE
	BUA :  32403,722 sqm.
CTE : Issued valid upto 11.09.2008
EC : 02.04.2007
ED & BG : NA.
Water Consumption :5000 KLD
Waste Water generation : 
(a) Domestic effluent: 5000 KLD
(b) Trade effluent: Nil
Date of Commissioning: April, 2008
ETP :  No
STP :  No. 
Test Report (Water) within limit : NA.
Test Report (Air) within limit :  NA. 
NMR submitted :  No  (D. G. Set: 400 KVA & 180 KVA)
Inspection conducted: No
Proof of Conformity : DDA
	Nil
	Museum cum reseacrh centre
	 
	Unit submitted its reply on 21.09.2010 regarding CTO_R which unit have already apply on 09.09.2008.
	Ask the unit to submit the noise monitoring report of D.G. Set from approved laboratory of DPCC and compliance affidavit of the conditions of consent to establish and environmental clearance.
	Ask the unit to submit the noise monitoring report of D.G. Set from approved laboratory of DPCC and compliance affidavit of the conditions of consent to establish and environmental clearance.

	82
	27112
	28-08-2008
	NATIONAL SPORTS CLUB OF INDIA
	MAIN MATHURA ROAD, OPP-PARGATI MAIDAN
	NC-ND
	RENEWAL
	Built up area :  5613.72 sqm.
CTE : Obtained. Valid upto 22.06.2010
EC :NA
ED & BG : NA.
Water Consumption :13 KLD
Waste Water generation : 
(a) Domestic effluent: 3.5 KLD
(b) Trade effluent: 8 KLD
Date of Commissioning: 1950
ETP :  Yes
Test Report (Water) within limit : Yes
NMR submitted :  Yes(D.G. Set: 82.5 KVA)
	 
	Bar & Restaurant
	                        17.11.2008
SIT to inspect and report. Call on 23.12.2008
                       23.12.2008
SIT inspection found the following deficiencies:-
(i) No rainwater harvesting structure 
(ii) During inspection, aeration tank was not found operational. 
(iii) Cleaning is required in aeration tank and collection tank. 
(iv) Sludge should be removed regularly.  
(v) Stack height of the D.G. Set should be raised atleast upto 2.0 meter above the roof of the building where the D.G. Set is installed.
Ask the unit to correct all these deficiencies. Call on 28.01.2009 
                           28.01.2009
Ask the unit to do full compliance. Call on 12.03.2009
                            12.03.2009
Issue final reminder for full compliance of CMC decisions. Call on 22.04.2009
                          23.04.2009
Ask the unit to file full compliance on an affidavit and to apply for Consent to Establish. Call on 03.06.2009. 
                            03.06.2009
Issue Consent to Establish. Call on 22.07.2009
	Applied for renewal of consent  on 28.08.2008
Letter issued on 08.05.2009
Reply along with affidavit received.
	Recommended for grant of renewal of consent.
	Issue renewal of consent.

	83
	27105
	28-08-2008
	MAMRAM MAGIC MALL
	PLOT NO-4, CS/OCF, SECTOR-24, ROHINI
	NC-NW
	OPERATE
	BUA :  888.62 sq.m
CTE : Granted and valid upto 08.01.2009.
EC : No
ED & BG : Submitted
Water Consumption :500 litres/day.
Waste Water generation : 
(a) Domestic effluent: 500 litre/day.
(b) Trade effluent: Nil
Date of Commissioning: 2008
ETP : No 
STP :  No. 
Test Report (Water) within limit : Not submitted.
Test Report (Air) within limit :  NA. 
NMR submitted :NA.
Inspection conducted on : 13.01.2009.
Proof of Conformity : 
	Nil
	Construction of malls (commercial complex)s
	SIT to inspect and report. Call on 14.01.2009
	SCN u/s 5 of EPA sent on 22.07.2009.
	Recommended for grant of consent to operate.
	Issue consent to operate. Also inspection be conducted for existence of borewell.

	84
	27100
	27-08-2008
	SUNCITY PROJECTS PVT. LTD.
	NORTH SQUARE MALL, COMMERCIAL COMPLEX, PLOT NO. F-1,2,3, NETAJI SUBHASH PLACE, WAZIRPUR DISTRICT CENTRE
	NC-NW
	OPERATE
	BUA :  10721.21 sq mt
CTE : Applied.
EC : NA
ED & BG :  NA.
Water Consumption : 18 KLD
Waste Water generation : 
(a) Domestic effluent: 14 KLD
(b) Trade effluent: Nil
Date of Commissioning: September 2008
ETP : No 
STP : No. 
Test Report (Water) within limit : No
Test Report (Air) within limit : No . 
NMR submitted : Yes.
Inspection conducted on : 07.05.2008
Proof of Conformity : 
	Nil
	Shopping Mall
	                               07.01.2009- Ask the unit to file first interim report. Call on 18.02.2009. 
SIT indicates that there are other units in the same location which have not taken Consent to Establish. SIT to furnish the complete list for such units so that  notices may be issued for filling Consent to Establish immediatley. Call on 18.02.2009 for all such units.
20.02.2009- Ask the unit to submit interim progress report for STP installation. Call on 25.03.2009
25.03.2009- Call on 05.05.2009
06.05.2009- Call on 12.06.2009 along with adequacy report.
12.06.2009-Call on 05.08.2009
23.11.2009.
Issue final reminder for adequacy report. SIT to provide the list of other units. 
	> Reply received dated 03.06.2009 stating that due to economic crisis and some technical/ feasibility reasons the work of instalations is delayed and expected to be completed by second week of august 2009.
D G set:3*500 KVA,1*125 KVA.
	LPA is being filed w.r.t. the Hon'ble High Court order dated 30.09.2010. File be put up administratively.
	Inspection be conducted.

	85
	27091
	26-08-2008
	NIRULA'S AT DEFENCE COLONY
	PLOT NO. 1, UNDER COLONY FLYOVER, DEFENCE COLONY ( A UNIT OF M/S. NIRULAS CORNER HOUSE PVT. LTD.)
	NC-S
	RENEWAL
	BUA :  252 Sq.mtr
CTE : not reqiued
EC : N/A
ED & BG :  NA.
Water Consumption : 10 KLD
Waste Water generation : 
(a) Domestic effluent: 1.20KLD( on application) & 1.5KLD ( on affidavit)
(b) Trade effluent:  10 KLD ( on application) & 8.5 KLD ( on affidavit)
Date of Commissioning: Jan 1986
ETP :  No (Only Oil & Grease Trap is provided).
Test Report (Water) within limit : No 
Test Report (Air) within limit :  NA. 
NMR submitted : Yes 
Inspection conducted on : N/A
Proof of Conformity : MCD Linence valid upto 31.03.2010 with  seating capacity  (88 seats) + 46 in outside open area.
	NIL
	Restaurant
	09.04.2009
Ask the unit to apply for CTE & file an affidavit for source of water supply. Also ask the unit to install ETP. Call on 19.05.09.
15.06.09
Issue reminder. Call on 12.08.09.
	1. DG Set: 125 KVA
2.  NMR submitted on 06.08.2008
3. Adequacy Report not  submitted.
4. GW : Nil
5. CTO valid upto 31.08.04 with CNO  313.
6. CTR valid upto 30.08.07 with CNO  11651.
7. Seating capacity of the unit is 88 seats + 46 seats (in open areas)

Reminder issued on 02.07.09.
Reply received on 11.06.09 stating that they have already been granted consent for the period from 2001 to 2004 & again from 2004 to 2007 (photocopies enclosed).

No complainace received regarding ETP installation.
	Issue SCN for refusal of consent and SCN u/s 33(A) of the Water Act for closure  to the unit. 
	Issue SCN for refusal of consent and SCN u/s 33(A) of the Water Act for closure  to the unit. 

	86
	27001
	19-08-2008
	INDIAN OIL CORPORATION LTD
	BOTTLING PLANT, GHEVRA MODE, TIKRI KALAN
	NC-W
	RENEWAL
	BUA :  30079 sqm
CTE : not applied
EC :  N/A
ED & BG : NA.
Water Consumption : 62 KLD, (in process 50 KLD)
Waste Water generation : 
(a) Domestic effluent: 1 KLD
(b) Trade effluent: nil
Date of Commissioning: April, 1988
ETP :  No.
STP :  No. 
Test Report (Water) within limit :  NA.
Test Report (Air) within limit : NA
D.G Set: 3X500 KVA, 1X250 KVA.
NMR submitted : Yes (09.08.2008).
Inspection conducted on : 08.06.1999
Proof of Conformity : MCD license
	52 KLD
	Filling of LPG cylinder
	 
	Earlier CTO issued valid upto 31.08.2009 (by CPCB) and  23.08.2008
Applied for authorization under HWM on 23.02.2010
	Ask the unit to apply for consent to establish. Inform to DJB regarding ground water extraction. 
	Issue renewal of consent and authorization under HWM Rules. Inform to DJB regarding ground water extraction. 

	87
	26807
	30-07-2008
	LAXMI SWEETS & CONFECTIONERS ( MEERUT WALE)
	SHOP NO. B-20 B, RANA ROAD, MAJLIS PARK
	NC-NW
	OPERATE
	BUA :  100 sq. yard
CTE : Applied
EC : NA
ED & BG : NA.
Water Consumption : 600 l/day
Waste Water generation : 
(a) Domestic effluent: 0.30 KLD
(b) Trade effluent: 0.2 KLD
Date of Commissioning: After getting N.O.C from DPCC.
ETP : Yes (oil & grease trap)
STP :  No. 
Test Report (Water) within limit : No 
Test Report (Air) within limit :  No . 
NMR submitted :  NA.
Inspection conducted on : 
Proof of Conformity : Registration of an eating house
	Nil
	sweets & snacks.
	16.04.2010
Ask the unit to install the ETP to meet the prescribed standards, is the sitting capacity is more than 36 seats and submit a valid MCD AND Delhi police license.
	Letter issued on 17.05.2010.
No repl;y received.
	Issue SCN for refusal of consent.
	Inspection be conducted.

	88
	26793
	29-07-2008
	NEW LAXMI SWEETS & CONFECTIONERS (MEERUT WALE)
	SHOP NO 702, MAIN ROAD, DR. MUKHARJI NAGAR
	NC-N
	OPERATE
	BUA :  170 sqm
CTE : YES
EC : NA
ED & BG :  NA.
Water Consumption :500 lpd
Waste Water generation : 
(a) Domestic effluent: 200 lpd
(b) Trade effluent: 20 lpd
Date of Commissioning: 
ETP : Yes
STP : No. 
Test Report (Water) within limit : not submitted
Test Report (Air) within limit : NA. 
NMR submitted :  NA.
Inspection conducted on :11.06.2008 
Proof of Conformity : MCD health trade licence, expired on 31.03.2007
	Nil
	Sweets and Snacks(sweets house)
	 
	CTE issued on 30.03.2009 valid til 23.03.2010
CTO appiled on 28.03.2005
CTO applied on  29.07.2008
	Recommended for grant of consent to operate.
	Issue consent to operate. 

	89
	26745
	25-07-2008
	MANN SERVICE STATION
	PUSA ROAD, RAJENDRA PLACE
	NC-SW
	RENEWAL
	BUA :  118 sqm.
CTE :  Not applied 
EC : not applicable
ED & BG : NA.
Water Consumption :2240 LPD 
Waste Water generation : 
(a) Domestic effluent: 200 LPD
(b) Trade effluent: 2000 LPD
Date of Commissioning: 1937
ETP : Yes 
STP :  No. 
Test Report (Water) within limit : Yes
Test Report (Air) within limit : Yes  
NMR submitted : 16 july 2008(D.G. Set: 62.5 KVA)
Inspection conducted: No
Proof of Conformity : MCD licence
	2240 LPD 
	Petrol pump cum service station
	 
	Earlier CTO & CTR issued valid upto 24.07.2005 & 24.07.2008
Issued Authorization under HWM rules on 30.06.2006
	Recommended for grant of renewal of consent. Ask the unit to apply for fresh authorization under HWM Rules. Inform to DJB regarding ground water extraction. 
	Issue  renewal of consent. Ask the unit to apply for fresh authorization under HWM Rules. Inform to DJB regarding ground water extraction. 
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	26742
	25-07-2008
	SUDERSHAN COLD STORAGE CO PVT. LTD
	2, NEW SUBZI MANDI, AZADPUR
	NC-NW
	RENEWAL
	BUA :  Not mentioned (Plot area: 897.30 sq.m
CTE : 
EC : NA
ED & BG :  NA.
Water Consumption : 1 KLD
Waste Water generation : 
(a) Domestic effluent: 0.65 KLD
(b) Trade effluent: Nil
Date of Commissioning: 1994
ETP : NA.
STP :  No. 
Test Report (Water) within limit : NA.
Test Report (Air) within limit :  NA. 
NMR submitted : NA.
Inspection conducted on : 
Proof of Conformity : 
	Nil
	Cold storage
	                                 04.03.2009
	CTO  renewal valid upto 25.07.2008..
	Recommended for renewal of consent with the condition to take safety measures w.r.t. use of amonia as per MSIHC Rules, 1989.
	Issue renewal of consent with the condition to take safety measures w.r.t. use of amonia as per MSIHC Rules, 1989.
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	26644
	22-07-2008
	CHAWLA CHICKEN CORNER
	13/41, GEETA COLONY, DISTT. EAST
	NC-E
	RENEWAL
	BUA : 25 Sq. mtr. 
CTE : Applied
EC : 
ED & BG : Submitted / Not submitted / NA.
Water Consumption :0.50 kilo ltrs/day
Waste Water generation : 
(a) Domestic effluent: 0.20 kilo ltrs/day
(b) Trade effluent: 0.02 kilo ltrs/day
Date of Commissioning: 1995.
ETP :  No 
STP :  No. 
Test Report (Water) within limit : NA .
Test Report (Air) within limit : NA
NMR submitted : NA.
Inspection conducted on : 
Proof of Conformity : 
	No
	eating house (only for cooking and packing)
	16.04.2010:
Submit valid MCD & Delhi Police Licence.
	Applied for CTE:22.07.2008.
CTO issued , valid upto09.05.2008.
	Recommended for grant of renewal of consent and consent to establish. 
	Issue renewal of consent and consent to establish. 
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	26445
	14-07-2008
	GAHOI BUILDWELL LTD (COMMERCIAL COMPLEX)
	V3S EAST CENTRE, PLOT NO-12, LAXMI NAGAR, DISTRICT CENTRE, VIKAS MARG
	NC-E
	OPERATE
	BUA :  5189.19 Sq.mts.
CTE :  yes
EC :  
ED & BG : Submitted / Not submitted / NA.
Water Consumption : 95 KLD
Waste Water generation : 
(a) Domestic effluent:  70
(b) Trade effluent: NIL
Date of Commissioning: July 2006.
STP : Yes. 
Test Report (Water) : Yes. BOD : 12.
Test Report (Air) within limit : Yes / No / NA. 
NMR submitted : Yes .
Inspection conducted on : 
Proof of Conformity : 
	 
	 
	 
	Applied for CTO: 02.01.2009.
CTE issued on 19.08.2008, valid upto 18.08.2009
DG set: 1*250,380*1, 500*1 KVA
	Inspection be conducted.
	Ask the unit to submit effluent analysis report with complete parameters from approved laboratory of DPCC. 
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	26343
	07-07-2008
	PRAG DISTILLED WATER ICE FACTORY AND PRAG CLD STORAGE
	3754-XII, OLD SUBZI MANDI
	NC-N
	RENEWAL
	CTE : Not required.
Water Consumption :
Waste Water generation : 
(a) Domestic effluent: 
(b) Trade effluent: 
Date of Commissioning: 
ETP : Yes / No / NA.
STP : Yes / No. 
Test Report (Water) within limit : Yes / No / NA.
Test Report (Air) within limit : Yes / No / NA. 
NMR submitted : Yes / No / NA.
Inspection conducted on : 
Proof of Conformity : 
	10 kilo litrs only
	Ice manufacturing and Cold Storage
	 
	CTO issued on 19.05.2003  valid upto 05.07.2005
CTR issued on  15.11.2006 valid upto 14.07.2008
CTR aaplied on  07.07.2008
	Ask the unit to submit proof of conformity. Inform to DJB regarding ground water extraction. 
	Inspection be conducted. Inform to DJB regarding ground water extraction. 
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	26219
	30-06-2008
	SAFDARJANG SERVICE STATION
	SAFDARJANG ROAD
	NC-S
	RENEWAL
	BUA : 130.67 Sq mtr 
CTE : not required
EC : N/A
ED & BG : NA.
Water Consumption : 2280 lt/d
Waste Water generation : 
(a) Domestic effluent: 630 l/d
(b) Trade effluent: 2 lt/d on application form & shown NIL on affidavit.
Date of Commissioning: 1952
ETP : Yes .
STP :  No. 
Test Report (Water) within limit : Yes 
Test Report (Air) within limit : NA
NMR submitted :  NA.
Inspection conducted on : N/A
Proof of Conformity : Lease papers. Dealers agreement.
	1500 Lt/d
	Petrol Pump &  Service Station.
	 
	1. DG Set: N/A
2.  NMR not submitted.
3. Adequacy Report dated 24.08.08 & Test Report submitted on 07.01.2009
4. GW : 1500 Lt/d
5. CTO valid upto 08.07.05 with CNO  10919.
6. CTR valid upto 08.07.08 with CNO  13573.
	Recommended for grant of renewal of consent. Ask the unit to apply for fresh authorization under HWM Rules. Inform to DJB regarding ground water extraction. 
	Issue  renewal of consent. Ask the unit to apply for fresh authorization under HWM Rules. Inform to DJB regarding ground water extraction. 
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	26147
	24-06-2008
	THE ORIENTAL BLOOM
	C-309/310, KHEL GAON MARG ANSAL PLAZA
	NC-S
	RENEWAL
	BUA : not mentioned
CTE : not applied
EC : N/A
ED & BG : Submitted / Not submitted / NA.
Water Consumption :7000Lt/d - 8000Lt/d
Waste Water generation : 
(a) Domestic effluent: 0.8 KL/d
(b) Trade effluent:  5 - 6 KL/d
Date of Commissioning: 2002
ETP :  No (oil & grease trap provided).
STP :  No. 
Test Report (Water) within limit :  No
Test Report (Air) within limit : No 
NMR submitted :  NA.
Inspection conducted on : N/A
Proof of Conformity : MCD licence valid upto 31.03.11 with seating capacity 84 seats
	7000Lt/d - 8000Lt/d
	 Restaurant (84 seats)
	 
	1. DG Set: N/A
2.  NMR not submitted. 
3. ETP not installed only oil & grease trap installed.
4. GW : 7000Lt/d - 8000Lt/d
5. CTO valid upto 04.05.07 with CNO  11625.
6. Seating capacity of the unit is 84 seats.
	Issue SCN for refusal of consent as unit has not applied for consent to establish and non installation of ETP to achieve the newly notified standards. Inform to DJB regarding ground water extraction. 
	Issue SCN for refusal of consent and SCN for closure for non installation of ETP to achieve the newly notified standards. Inform to DJB regarding ground water extraction. 
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	25984
	05-06-2008
	SUNCITY PROJECTS PVT. LTD
	PLOT NO -A, SECTOR-B, POCKET-5, VASANT KUNJ
	NC-SW
	OPERATE
	BUA :  58809.738 sqm.
CTE : issued valid upto 16.09.2011
EC : obtained on 22.01.2007 
ED & BG : Submitted 
Water Consumption :250 KLD
Waste Water generation : 
(a) Domestic effluent: 100 KLD
(b) Trade effluent: NIL
Date of Commissioning: May, 2008
ETP : Yes 
STP : Yes 
Test Report (Water) within limit : Yes 
Test Report (Air) within limit : Yes 
NMR submitted : Yes, dated 13.08.2010 (D.G. set: 1010X4 KVA)
Inspection conducted on : 29.07.2010
Proof of Conformity : yes
	nil
	Vasant square mall
	 Decision on 21.01.10
Inspection be conducted to know the present status. Insist the unit to comply with earlier CMC's decision with in 15 days, failing which, bank gurantee submitted earlier be forfeited. Letter be issued without waiting for the minutes.
 Decision on  23.03.2010
Return the Bank Guarantee of Rs. 75 Lakh. Issue SCN for forfeiture of Bank Guarantee of Rs. 37.5 Lakhs within 15 days without waiting for minutes. Subsequently, inspection be done and file be put up administratively. 
	Unit submitted its compliance afiidavit of EC on 21.09.2010.
The stack monitoring report of the D.G. Set of more than 1000 KVA has been obtained from a NABL Accridited Lab and the effluent analysis report does not contain the result for NN and DF. 
	Recommended for grant of consent to operate if the unit submits a fresh effluent analysis report with complete parameters and stack monitoring report of D.G. Set of more than 1000 KVA from an approved laboratory of DPCC. 
	Unit has submitted the fresh reports. Issue consent to operate.
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	25893
	30-05-2008
	AGIA RAM KHANNA & SONS
	308/1E, SHAHZADA BAGH
	NC-N
	RENEWAL
	BUA :  60sqm
CTE : Not Applied
EC : NA
ED & BG :  NA.
Water Consumption :800 lpd
Waste Water generation : 
(a) Domestic effluent: 250 lpd
(b) Trade effluent: Nil
Date of Commissioning:March, 1963 
ETP :  NA.
STP :  No. 
Test Report (Water) within limit :  NA
Test Report (Air) within limit :NA 
NMR submitted : NA
Inspection conducted on : NA
Proof of Conformity : NA
	800 lpd
	Plastic Goods
	 
	CTO issued on 19.05.2003  valid upto 05.07.2005
CTR issued on  15.11.2006 valid upto 14.07.2008
CTR aaplied on  07.07.2008
	Recommended for grant of renewal of consent. Inform to DJB regarding ground water extraction. 
	Inform to Enquiry Counter to correct its record as the case is Shahzada Bagh Industrial Area. Case be put up accordingly along with the other indusrial area cases in chronology. 
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	25694
	09-05-2008
	DELHI TRANSPORT CORPORATION
	CENTRAL WORKSHOP-I, DTC, BBM MARG
	NC-N
	RENEWAL
	BUA :  14883 sqm
CTE : not applied
EC :NA 
ED & BG :  NA.
Water Consumption :1000lpd
Waste Water generation : 
(a) Domestic effluent: 100lpd
(b) Trade effluent: 500lpd
Date of Commissioning: 1980
ETP :  No 
STP :  No. 
Test Report (Water) within limit : NOT submitted
Test Report (Air) within limit : Not submitted
NMR submitted : No 
Inspection conducted on : NA
Proof of Conformity : NA
	2500lpd
	Repair and Maintanance of Buses( without Washing)
	 
	CTO  issued on 30.04.2003 valid til 23.07.2005
CTR issued on 14.06.2006 valid upto 23.07.2008.l
	Ask the unit to apply for authorization unde HWM Rules. Inform to DJB regarding ground water extraction. 
	Ask the unit to apply for authorization unde HWM Rules. Inform to DJB regarding ground water extraction. 
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	25624
	30-04-2008
	JAYPEE HOTEL SIDDHARTH
	3, RAJENDRA PLACE
	NC-C
	RENEWAL
	BUA :  not mentioned
CTE : not required
EC : N/A
ED & BG  : Submitted .
Water Consumption :250 - 300KL/d
Waste Water generation : 
(a) Domestic effluent: 120 KL/d
(b) Trade effluent: 100 KL/d
Date of Commissioning: 1981
ETP : Yes.
Test Report (Water) within limit : Yes (accept for phosphate).
Test Report (Air) within limit : Yes 
NMR submitted : Yes .
Inspection conducted on : 31.10.07
Proof of Conformity : Lincense from police
	100 - 180KL/d
	Hospitality (Hotel Industry )
	07.12.07
Ask the unit to apply for authorization under HWM Rules and correct the deficiencie found during inspection. Put up in January 2008 CMC.
	1. DG Set: 2Nos. of 910 KVA
2.  NMR submitted on 21.12.2009 & 23.06.2010
3. Adequacy Report submitted on February 2007 and test report submitted on 06.07.10
4. GW : 100 - 180KL/d
5. CTR ( Refuse) refusing date 03.10.05 with CNR 888.
6. CTR valid upto 31.05.08 with CNO 14898.
Letter issued on 20.03.08 regarding the correction of deficiencies and HWM authorisation.
Letter dated 11.09.08 issued for ISO certification.Accordingly, reply recieved from the unit on 22.09.08 submitting the ISO Certification.
unit submitted environmental report on 13.08.10.
Unit has applied for HWM authorization on 04.04.08
	The unit must use the treated waste water for the entire cooling requirement so that fresh water is conserved and treated waste water get optimally utilized. Ask the unit to submit a feasibility report for installation of Sewage Treatment Plant(STP) for treating the entire waste water and for installation of recycling system for reuse of treated waste water in the cooling tower, toilet flushing, horticulture etc. supported by a water mass balance chart. Unit is also required to submit the status of obtaining the ISO 14001 certification, a fresh effluent analysis report with complete parameters as per new notification from approved laboratory of DPCC. Also unit may be asked to install Solar Water Heating system and ensure use of CFL, BEE labeled equipments to conserve the energy. Ask the unit to apply for fresh authorization under HWM Rules. Inform to DJB regarding ground water extraction. 
	The unit must use the treated waste water for the entire cooling requirement so that fresh water is conserved and treated waste water get optimally utilized. Ask the unit to submit a feasibility report for installation of Sewage Treatment Plant(STP) for treating the entire waste water and for installation of recycling system for reuse of treated waste water in the cooling tower, toilet flushing, horticulture etc. supported by a water mass balance chart. Unit is also required to submit the status of obtaining the ISO 14001 certification, a fresh effluent analysis report with complete parameters as per new notification from approved laboratory of DPCC. Also unit may be asked to install Solar Water Heating system and ensure use of CFL, BEE labeled equipments to conserve the energy. Ask the unit to apply for fresh authorization under HWM Rules. Inform to DJB regarding ground water extraction. 
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	25541
	22-04-2008
	AUTO CARE CENTRE
	NITI MARG, CHANAKYAPURI
	NC-SW
	OPERATE
	BUA :  250 sqm.
CTE : Issued valid upto 30.01.2007
EC : N/A
ED & BG :  NA.
Water Consumption :4.5 KLD
Waste Water generation : 
(a) Domestic effluent: 0.4 KLD
(b) Trade effluent: 4 KLD
Date of Commissioning: 2006
ETP : Yes 
STP : No Water) within limit : Yes 
Test Report (Air) within limit : NA 
NMR submitted : Yes on 15.02.2008 (D.G. Set :40 KVA)
Inspection conducted : No
Proof of Conformity : No
	4.5 KLD
	Filling station cum service station of cars
	Decision on 24.06.2009
Issue SCN for refusal of consent. Call on 26.08.2009
	Issued SCN for refusal of consent to the unit on 15.07.2009.
unit replied on 7.08.2009 along with applied for renewal of authorization under HWM Rules & ensure to submit fresh adequacy report.  
	File be put up administratively. 
	Inspection be conducted and file be put up administratively. Case be shifted to CMC-II as the case is New Delhi Distt. Inform Enquiry Counter to correct its record accordingly. 
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	25350
	31-03-2008
	AUTOLINKS ENTERPRISES
	BAWA POTTERIES COMPOUND, OPP. SAHARA RESTAURANT, ARUNA ASAF ALI MARG, VASANT KUNJ
	NC-SW
	RENEWAL
	BUA :  400 sqm.
CTE : pending
EC : not required
ED & BG : Not submitted 
Water Consumption : 20 KLD
Waste Water generation : 
(a) Domestic effluent: 600 LPD
(b) Trade effluent: 20 KLD
Date of Commissioning: 1997
ETP :yes
Test Report (Water) within limit : yes
Test Report (Air) within limit :NA
NMR submitted : dated 29.01.2008  (D.G. Set of 62.5 KVA)
Inspection conducted on : 08.04.2009 by SIT
Proof of Conformity : MCD licence
	20 KLD (corporation/ground water)
	aurtomobile services and maintenance
	Decision on 22.05.2009
Issue SCN for closure u/s 33 (A) of the Water Act. Call on 08.07.09.
Decision on 05.08.2010
Ask the unit to submit proof of conformity in view of MPD- 2021 along with Bank Guarantee of Rs. Fifty Thousand each under Air Act, Water Act and HWM Rules valid for one year.
	Earlier CTO issued valid upto 04.03.2004.
CTR issued valid upto 11.10.2007.
Letter issued to the unit on 20.09.2010.
Unit submitted its reply on 11.10.2010 and requested to grant one month for the submission of bank guarantee.
	Issue SCN for refusal of consent. Inform to DJB regarding ground water extraction. 
	Issue SCN for refusal of consent. Inform to DJB regarding ground water extraction. 
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	25349
	31-03-2008
	KALPANA RESTAURANT
	G-28, CONNAUGHT CIRCUS
	NC-ND
	RENEWAL
	BUA :  Not mentioned (Plot area:35 sq.m.
CTE : 
EC : 
ED & BG : Submitted / Not submitted / NA.
Water Consumption : 5KLD
Waste Water generation : 
(a) Domestic effluent: 0.3KLD
(b) Trade effluent: 4 KLD
Date of Commissioning: 1971.
ETP : Yes 
STP : No. 
Test Report (Water) within limit :  No 
Test Report (Air) within limit :  No 
NMR submitted :  NA.
Inspection conducted on : 
Proof of Conformity : 
	NIL
	Restaurant
	 
	CTO granted and valid upto 04.03.2008.
	Recommended for grant of renewal of consent.
	Issue renewal of consent.
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	25112
	07-03-2008
	WELCOME SERVICE STATIN
	DISTRICT CENTRE, SAKET
	NC-S
	RENEWAL
	BUA :  64 Sq.mtr
CTE : issued on 27.10.09
EC : N/A
ED & BG :  NA.
Water Consumption :1200 Lt/d
Waste Water generation : 
(a) Domestic effluent: 150 Lt/d
(b) Trade effluent: 1000 Lt/d
Date of Commissioning: 1984
ETP : Yes.
STP :  No. 
Test Report (Water) within limit : Yes.
Test Report (Air) within limit : NA. 
NMR submitted : Yes .
Inspection conducted on : NA
Proof of Conformity :  MCD Lience valid upto 31.03.200
	1200 Lt/d
	Filling cum service station of cars
	              09.04.2009
Ask the unit to apply for Consent to Establish and file permission from DJB for ground water extraction. Call on 19.05.2009.
              15.06.09
Ask the unit to file full compliance. Call on 12.08.09
	1. DG Set: 25 KVA
2.  NMR submitted dated 04.03.2008
3. Adequacy Report submitted on 10.12.07 and test report submitted on 11.11.08.
4. GW : 1.2KL/d
5. CTO valid upto 29.03.04 vide CNO 13 & CTR valid upto 13.06.07 with CNO 11421.
6. CTE valid upto 26.10.10 with CNO 21634.
7. Applied for HWM Authorization on 12.08.10 vide ID NO 0356.

Letter issued on 24.04.09
Reply awaited.
Letter issued to ask the unit to apply for Consent to Establish and file permission from DJB for ground water extraction on 02.07.09.
Reply received stating that they have registered with DJB.(PHOTOCOPY OF RECEIPT) on 12.05.09.
	Recommended for grant of renewal of consent and authorization under HWM Rules. Inform to DJB regarding ground water extraction.  
	Issue renewal of consent and authorization under HWM Rules. Inform to DJB regarding ground water extraction. 
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	25106
	07-03-2008
	KALEVA
	109, BANGLA SAHIB ROAD, GOLE MARKET
	NC-ND
	RENEWAL
	BUA :  100 sq.m
CTE : 
EC : 
ED & BG : NA.
Water Consumption : 600 litres/day.
Waste Water generation : 
(a) Domestic effluent: 300 litres/day.
(b) Trade effluent: 250 litres/day.
Date of Commissioning: 1985
ETP :  NA.
STP : No. 
Test Report (Water) within limit :  No
Test Report (Air) within limit :  NA. 
NMR submitted :  NA.
Inspection conducted on : 
Proof of Conformity : 
	 
	Preparation of sweets and namkeens.
	 
	Oil and grease trap installed.
CTO granted and valid upto 31.05.2006.
	Recommended for grant of renewal of consent. 
	Issue renewal of consent.
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	25102
	05-03-2008
	SYNDICATE LABELS
	6-E, RANI JHANSI ROAD JHANDEWALAN EXTENSION
	NC-C
	RENEWAL
	BUA : 2000 Sq.Ft.
CTE : not applied
EC :   NA
ED & BG : NA.
Water Consumption : 1.5 KL/d
Waste Water generation : 
(a) Domestic effluent: 1.2 KL/d
(b) Trade effluent: NIL
Date of Commissioning: August 2003
ETP :  NA.
STP :  No. 
Test Report (Water) within limit : NA.
Test Report (Air) within limit : NA. 
NMR submitted :  NA.
Inspection conducted on : 22.10.09
	NIL
	Paper Printing
	09.04.2009
SIT-II to inspect and report. Call on 19.05.2009
15.06.09
Issue reminder. Call on 12.08.2009
Issue SCN for closure on the basis of SIT report as unit does not have ETP and has not applied for Consent to Establish. Call on 12.08.2009
	1. DG Set:N/A
2.  NMR not submitted.
3.  GW : 1.2KL/d
4. CTO refused with refusal on 04.03.06 with CNR 1051.
5. CTO valid upto 10.03.08 with CNO 12766.
6. HWM applied on 26.03.10 vide id no 0066.
SCN were issued to the unit on 14.07.09.
Unit submitted its reply on 03.06.09.
	Ask the unit to apply for consent to establish and  submit affidavit stating that washing facility and all the D.G. Sets have been removed and the unit has complied with the HWM Rules. Also ask the unit to submit Bank Guarantee of Rs. 50,000 each under Air Act, Water Act and HWM Rules for one year. 
	Ask the unit to submit affidavit stating that washing facility and all the D.G. Sets have been removed and the unit has complied with the HWM Rules. Also ask the unit to submit Bank Guarantee of Rs. 50,000 each under Air Act, Water Act and HWM Rules for one year. 
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	24926
	12-02-2008
	NIRULAS CORNER HOUSE PVT. LTD
	5, G.F. & F.F., COMMUNITY CENTRE, SAKET
	NC-SW
	RENEWAL
	BUA :  113.66 Sq2.mt
CTE : not applied
EC : NA
ED & BG :  NA.
Water Consumption : 8.5 KL/d
Waste Water generation : 
(a) Domestic effluent: 0.8 Kl/d
(b) Trade effluent: 8.5 Kl/d
Date of Commissioning: Feb 2001
ETP :  No (Oil & Grease trap provided).
STP : Yes / No. 
Test Report (Water) within limit : Yes / No / NA.
Test Report (Air) within limit : Yes / No / NA. 
NMR submitted : Yes / No / NA.
Inspection conducted on : 
Proof of Conformity : 
	Nil
	Restaurant(48 seats)
	 
	1. DG Set:82.5 KVA & NMR dated 31.01.2008 submitted.
2.Only oil & grease trap provided.
3.Earlier, CTO under Orange category obtained which was valid upto 14.04.2007with CNO  11624.
4. The unit has not obtained CTE
5. The is having 48 seats & requires to install ETP as per new gazatte notification.
	Issue SCN for refusal of consent and SCN u/s 33(A) of the Water Act for closure  to the unit. 
	Issue SCN for refusal of consent and SCN u/s 33(A) of the Water Act for closure  to the unit. 
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	24903
	08-02-2008
	HOTEL IMPERIAL
	JANPATH
	NC-ND
	RENEWAL
	BUA :  28948.29 m
CTE : 
EC : 
ED & BG : Submitted / Not submitted / NA.
Water Consumption : 360 KLD
Waste Water generation : 
(a) Domestic effluent: 100 KLD
(b) Trade effluent: 100 KLD
Date of Commissioning: 1968
ETP : Yes
STP :  No. 
Test Report (Water) within limit : Yes
Test Report (Air) within limit : Yes
NMR submitted : Yes 
Inspection conducted on : 23.04.2008.
Proof of Conformity : 
	100 KLD.
	Hotel 
	 03.12.2008
The following deficiencies were noted during the SIT inspection:
(a) Only 1 number of sludge drying bed existing at site indicating no stand by sludge drying bed provided at site. 
(b) 100 KLD sewage is being discharged directly into the sewer without any treatment and ETP has been provided only for 100 KLD trade effluent. Separate STP required to be installed.
(c) Waste oil needs to be managed as per the provisions of Hazardous Waste (Management & Handling) Rules such as installation of display board, provision of hazardous waste containers and HW record keeping. 
(d) At present, stack height of the D.G. Set of 1250 KVA only 2 meters above the roof top which is not adequate as per norms notified in Environment (Protection) Rules and needs to be raised.
(e) Solar water heating system to be provided.
(f) Defunct filter press exists at site which needs to be removed.
Unit to clarify the time by when the above deficiencies will be corrected. Inform the unit to follow the D.G. Set 
Rules w.r.t. the request received for permission to import new D.G. Set. Call on 23.12.2008.
 23.12.2008- Call on 28.01.2009
 28.01.2009- Call on 12.03.2009
 12.03.2009- Issue final reminder to submit full 
compliance of CMC decisions. Call on 22.04.2009
 23.04.2009- Issue final reminder for full compliance on an affidavit. Call on 03.06.2009. 
03.06.2009.- Ask the unit to file full compliance. 
Call on 22.07.2009
	
Unit has submitted a reply on 15.07.2009 and also on 30.09.2009. unit has submitted environment statement.
D G set:2*1250  KVA with stack height 11m above roof of building.
Ar of ETP submitted.
CTR valid upto 21.08.2006.
	The unit must use the treated waste water for the entire cooling requirement so that fresh water is conserved and treated waste water get optimally utilized. Ask the unit to submit a feasibility report for installation of Sewage Treatment Plant(STP) for treating the entire waste water and for installation of recycling system for reuse of treated waste water in the cooling tower, toilet flushing, horticulture etc. supported by a water mass balance chart. Unit is also required to submit a fresh effluent analysis report with complete parameters as per new notification from approved laboratory of DPCC. Also unit may be asked to install Solar Water Heating system and ensure use of CFL, BEE labeled equipments to conserve the energy. Ask the unit to submit compliance report of D.G. Set of 2000 KVA in compliance of gazette notiifciation of D.G. Set and also ask full compliance of eariler CMC decisions. Inspection may also be conducted. Inform to DJB regarding ground water extraction. 
	The unit must use the treated waste water for the entire cooling requirement so that fresh water is conserved and treated waste water get optimally utilized. Ask the unit to submit a feasibility report for installation of Sewage Treatment Plant(STP) for treating the entire waste water and for installation of recycling system for reuse of treated waste water in the cooling tower, toilet flushing, horticulture etc. supported by a water mass balance chart. Unit is also required to submit a fresh effluent analysis report with complete parameters as per new notification from approved laboratory of DPCC. Also unit may be asked to install Solar Water Heating system and ensure use of CFL, BEE labeled equipments to conserve the energy. Ask the unit to submit compliance report of D.G. Set of 2000 KVA in compliance of gazette notiifciation of D.G. Set and also ask full compliance of eariler CMC decisions. Inspection may also be conducted. Inform to DJB regarding ground water extraction. 
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	24842
	30-01-2008
	RAINBOW ICE CREAM
	779, JOSHI ROAD, KAROL BAGH
	NC-C
	RENEWAL
	BUA :  40 SQ MT
CTE : Not Required
EC : NA 
ED & BG : NA.
Water Consumption : 350l/d
Waste Water generation : 
(a) Domestic effluent: 50l/d
(b) Trade effluent: 200 l/d on application and 350 l/d on affidavit
Date of Commissioning: 1954
ETP : Oil & grease trap installed.
Test Report (Water) within limit : No.
Test Report (Air) within limit :  NA. 
NMR submitted : NA.
Inspection conducted on : NA
Proof of Conformity : Not Given
	200 l/d
	Mfg of Ice Cream.
	30.03.05
Consent to operate(Renewal) Ganted.
	1. DG Set:NIL
2. Adequacy Report dated July 2000.
3. CTO valid upto 31.01.02 with CNO  595.
4. CTR valid upto 03.02.08 with CNO  12547.
5. HWM applied on 24.04.07.
	Issue SCN for refusal of consent. Ask the unit to install ETP and submit adequacy report and effluent analysis report from approved consultant / laboratory of DPCC specifying the standards to be followed w.r.t. ice cream. Inform to DJB regarding ground water extraction. 
	Issue SCN for refusal of consent and SCN for closure of the unit for non installation of ful fledged ETP.
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	24785
	18-01-2008
	SATYA SERVICE STATION LTD
	L-BLOCK, JAI ROAD HARI NAGAR
	NC-W
	RENEWAL
	BUA :  300
CTE : not applied 
EC : not applicable
ED & BG : NA.
Water Consumption :4000 LPD
Waste Water generation : 
(a) Domestic effluent: 320 LPD
(b) Trade effluent: 4000 LPD
Date of Commissioning: 1978
ETP : Yes
STP :  No. 
Test Report (Water) within limit : Yes
NMR submitted : Yes, dated 13.09.2007 (D.G. Set 62.5 KVA)
	4000 LPD (corporation/ground water)
	Oil filling  cum service station i.e. sale of petroleum products and servicing of automobiles (cars)
	Decision on 11.05.2009
Ask the unit to file permission from DJB for ground water extraction as per new orders. Call on 24.06.2009
Decision on 24.06.2009
Ask the unit to file full compliance within 01 month. Call on 26.08.2009.
	Unit submitted its reply on 20.08.2009.
Earlier CTO issued twice valid upto 29.09.2007
	Recommended for grant of renewal of consent. Ask the unit to apply for fresh authorization under HWM Rules. Inform to DJB regarding ground water extraction. 
	Ask the unit to apply for fresh renewal of consent and fresh authorization under HWM Rules immediately. Inform to DJB regading ground water extraction. 

	110
	24777
	17-01-2008
	SHANKAR AUTOMOBILES
	BHAI VEER SINGH MARG, GOLE MARKET
	NC-ND
	RENEWAL
	BUA :  1172 sq.m
CTE : 
EC : NA
ED & BG : NA.
Water Consumption : 2400 l/day.
Waste Water generation : 
(a) Domestic effluent: 300 l/day.
(b) Trade effluent: 2000 l/day.
Date of Commissioning: 1987
ETP : Yes
STP : No. 
Test Report (Water) within limit : Yes 
Test Report (Air) within limit :  NA. 
NMR submitted : NA.
Inspection conducted on : 
Proof of Conformity : 
	2400 l/day.
	Filling station cum service station.
	                16.03.2009
Ask the unit to apply for renewal of authorization under HWM Rules, file permission from Central Ground Water Authority for extracting the ground water, submit noise monitoring report of D.G. Set from approved laboratories of DPCC. Call on 29.04.2009.
               11.05.2009
Time allowed till 
24.06.2009  for full compliance. Call on 24.06.2009
24.06.2009.
Ask the unit to file NDMC permission for ground water extraction and noise monitoring report from approved laboratory of DPCC. Also ask the unit to apply for authorization under HWM Rules. Call on 26.08.2009
	CTO issued on 07.03.01 valid upto 18.02.04.
CTO-R valid upto 27.04.07.
CTO-R applied on 17.11.87.
Letter issued on 01.06.09
Reply received.
AR of ETP submitted.
	Issue SCN for refusal of consent. Inform to DJB regarding ground water extraction. 
	Ask the unit to apply for fresh renewal of consent and fresh authorization under HWM Rules immediately. Inform to DJB regading ground water extraction. 
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	24762
	16-01-2008
	INDIAN OIL CORPORATION LTD
	MATHURA-JALANDHAR PIPELINE, BIJWASAN
	NC-SW
	RENEWAL
	BUA :  49415 sqm.(plot area)
CTE : issued valid upto 20.08.2007
EC: 
ED & BG :  NA.
Water Consumption :15 KLD
Waste Water generation : 
(a) Domestic effluent: NIL
(b) Trade effluent: NIL
Date of Commissioning: April, 1982
ETP :  NA.
STP :  No. 
Test Report (Water) within limit :  NA.
Test Report (Air) within limit : Yes 
NMR submitted : Yes, dated 15.11.2007 (D.G. Set: 50 KVA)
Inspection conducted : No
Proof of Conformity : Yes
	15 KLD
	Transportation of petroleum product through pipeline.
	Decision on  02.04.2009
Ask the unit to apply for Consent to Operate . Call on 12.05.2009
 Decision on 15.06.2009
Time allowed. Call on 12.08.2009
Decision on  23.03.2010
Refer to DJB for GW extraction
	Earlier CTO issued twice valid upto 31.07.2004 & 26.08.2007 for the activity of boosting pump station.
	File be put up administratively. 
	File be put up administratively. 
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	24724
	11-01-2008
	KRISHNA COLD STORAGE
	3, NEW SABJI MANDI, AZADPUR
	NC-NW
	RENEWAL
	BUA :  897.45 sq.m
CTE : 
EC : NA
ED & BG : NA.
Water Consumption : 0.8 KLD
Waste Water generation : 
(a) Domestic effluent: 0.1 KLD
(b) Trade effluent: Nil
Date of Commissioning: 1979
ETP : NA.
STP : No. 
Test Report (Water) within limit :  NA.
Test Report (Air) within limit : NA. 
NMR submitted :  NA.
Inspection conducted on : 
Proof of Conformity : 
	600 l/day.
	Cold Storage
	 
	CTO  renewal valid upto 27.01.2008.
	Recommended for renewal of consent with the condition to take safety measures w.r.t. use of amonia as per MSIHC Rules, 1989. Inform to DJB regarding ground water extraction. 
	Ask the unit to apply for fresh renewal of consent immediately. Inform to DJB regading ground water extraction. 
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	24685
	07-01-2008
	P.K. DELICACIES PVT. LTD
	GROUND FLOOR HALL, YASHWANT PLACE, SATYA MARG, CHANAKYAPURI
	NC-SW
	OPERATE
	BUA :  400 sqm.
CTE : valid upto 16.10.2007
EC : NA
ED & BG :  NA.
Water Consumption :4 KLD
Waste Water generation : 
(a) Domestic effluent: 1.6 KLD
(b) Trade effluent: 1.8 KLD
Date of Commissioning: Nov 2007
ETP : Yes 
STP :  No. 
Test Report (Water) within limit :  No 
Test Report (Air) within limit : Yes 
NMR submitted : Yes, dated 11.12.2007 (D.G. Set: 180 KVA)
Inspection conducted : No
Proof of Conformity : NDMC, Police license
	Nil
	Sweets Shop cum eating house
	Decision on 16.03.2009
Ask the unit to install flow meter device.
Decision on 11.05.2009
Issue final reminder 
Decision on 24.06.2009
Ask the unit to confirm its reply on an affidavit.
	Letter issued to the unit on 21.07.2009. Reply along with affidavit on 29.07.2009
	Recommended for grant of consent to operate.
	Ask the unit to apply for fresh consent to operate immediately. Inform to DJB regading ground water extraction. 
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	24684
	07-01-2008
	P.K. DELICACIES PVT. LTD
	MEZZ FLOOR HALL, YASHWANT PLACE, SATYA MARG, CHANAKYAPURI
	NC-SW
	OPERATE
	BUA :  590 sqm.
CTE : issued valid upto 16.10.2007
EC : N/A
ED & BG : NA.
Water Consumption :3.1 KLD
Waste Water generation : 
(a) Domestic effluent: 1.4 KLD
(b) Trade effluent: 1.6 KLD
Date of Commissioning: Nov, 2007
ETP : Yes 
STP : No. 
Test Report (Water) within limit :  No (not submitted)
Test Report (Air) within limit :  NA. 
NMR submitted :  NA.(No D.G. Set)
Inspection conducted : No
Proof of Conformity : Health and police licence
	NIL
	Fine-denning restaurant
	Decision on 03.06.2009
The unit came for personal hearing today. No action in view of that no ground water drawal and no D.G. Set exists as indicated on file.
	 
	Recommended for grant of consent to operate.
	Ask the unit to apply for fresh consent to operate immediately. Inform to DJB regading ground water extraction. 
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	24668
	04-01-2008
	DELHI MILK SCHEME
	WEST PATEL NAGAR
	NC-W
	RENEWAL
	BUA :  7.4 arces
CTE : not applied
EC : N/A
ED & BG : NA.
Water Consumption :13 lakh LPD
Waste Water generation : 
(a) Domestic effluent: 1.3 lakh LPD
(b) Trade effluent: 9.2 lakh LPD
Date of Commissioning: Nov, 1959
ETP : Yes 
STP : No. 
Test Report (Water) within limit : Yes 
Test Report (Air) within limit : NA. 
NMR submitted :NA.(No D.G. Set)
Inspection conducted on : 23.07.2009
Proof of Conformity :MCD licence
	nil
	Processing of milk and manufacturing of milk products like ghee, butter, yoghurt, flavored milk and paneer etc.
	 
	Unit submitted its reply on 18.10.2010 regarding issuance of consent.
Earlier CTO issued valid upto 08.01.2005.
CTO_R issued valid upto 08.01.2008
Authorization under hazardous waste granted on 20.02.2007
SMR of oil fired boiler submitted.
Letter issued to CPCB regarding clarification w.r.t. stack height of boilers.
	Recommended for grant of renewal of consent. Ask the unit to apply for fresh authorization under HWM Rules. 
	Ask the unit to apply for fresh renewal of consent and fresh authorization under HWM Rules immediately. 
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	1
	32471
	18-01-2010
	RESTODYNE PVT. LTD
	C-29, PHASE-I
	OKHLA INDUSTRIAL AREA
	Flour Mill
	16.03.10 (Establish)
Issue Consent to Establish. Subsequently, inspection be conducted.
     16.06.10
Issue SCN u/s 31(A) of the Air Act for closure of the unit.
	1.Comencement:  feb 2010
2.Trade Effluent: nil
3.DG: nil
4.GW: nil
5. CTO not applied
AS per MCD(Assessment & Collection Department), unit is in operation since 1996
	CTE issued and unit was inspected on 10.05.10.
As deciedd by CMC on 16.06.10, SCN u/s 31(A) of Air Act issued to the unit on 26.07.10. However, no reply was received, the file was put up administratively and as approved Directions u/s 31(A) of Air Act and SCN for Revocation of Consent were issued on 09.09.10.
The unit submitted its representation on 05.10.10, 07.10.10, 16.11.10 & along with an affidavit that all the deficiencies have been rectified and requested for revocation of closure directions. The unit has also applied for CTO and submitted technical adequacy report of ECS from GGSIPU.
	Ask the unit to submit Bank Guarantee of Rs. 1 Lakh under Air Act valid for one year. If unit submits the Bank Guarantee, closure directions be revoked.
	Ask the unit to submit Bank Guarantee of Rs. 1 Lakh under Air Act valid for one year. If unit submits the Bank Guarantee, closure directions be revoked.


	Sl. No
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	2
	34781
	09-08-2010
	PRIYA PANCHWATI RESTAURANT
	C-11/8, YAMUNA VIHAR
	NC-E
	Restaurant (North Indian Food)
	Recommendation of Scrutinizing Committee on 17.08.2010
Obtain the status from PGRC Cell and put up in CMC.
           06.09.2010
File be put up administratively. 
	BUA :  80sq. mts.
GW: Nil
Water Consumption : 700 Litres/day
Waste Water generation : 
(a) Domestic effluent:200  ltrs/day
(b) Trade effluent: 500 Lits/Day
Date of Commissioning: Jan, 2010.
Inspected on:06.09.2010.
Copy of inspection report, closure direction and revocation provided by PGRC.
	Issue consent to establish. 
	Issue consent to establish. 


	S.No.
	ID No
	appl_dt
	firm_name
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	ATR/ Remarks
	Earlier CMC Decision 
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	3
	35309
	06.10.2010
	HEAVEN STAR
 REAILTY PVT. 
LTD.
	ASSET NO 13, HOSPITALITY DISTRICT, DIAL, IGI AIRPORT
	NC-SW
	Hotel complex & convention centre , at Asset -13 , Hospitality District,   
IGI airport, New Delhi. 
	Unit has submitted an affidavit on 06.12.2010 stating that construction activity has not been undertaken.
Plot area: 31163.13 sqm
Year of commencement: 2010
Trade effluent:nil
Ground Water: 1330 KLD, Source DIAL 
Domestic effluent575 KLD
D.G. Set: 5X2000 KVA., NMR  not 
	Decision on 25.11.2010
Ask the unit to confirm its present status of construction on an affidavit. 
	Recommended for grant of consent to establish. 
	Issue consent to establish.

	4
	33712
	29-04-2010
	ASPEN BUILDTECH LIMITED
	ASSET NO 11, HOSPITALITY DISTRICT, DIAL, IGI AIRPORT
	NC-SW
	Commercial & Retail Complex
	Unit has submitted EC on 06.12.2010 along with affidavit.
Reminder issued on 17.07.2010
Letter issued to the unit on 07.07.2010. 
Built up area:- 67819 sqm.
Date of commisioning of construction:- Dec, 2010
D.G Set of 3X 1500 KVA & 1X1010 KVA proposed.
Domestic effluent:- 134 KLD.STP of 160 KLD capacity proposed. 
	Decision on 26.05.2010
Ask the unit to submit  environmental clearance and affidavit regarding date of start of construction and date of completion of construction.

Decision on 13.08.2010
issue reminder.
	Recommended for grant of consent to establish. 
	Issue consent to establish.

	5
	33713
	29-04-2010
	OAK INFRASTRUCTURE DEVELOPERS LIMITED
	ASSET NO 7, HOSPITALITY DISTRICT, DIAL, IGI AIRPORT
	NC-SW
	Commercial & Retail Complex
	Unit has submitted EC on 29.11.2010 along with affidavit.
Reminder issued on 17.07.2010.
Letter issued to the unit on 07.07.2010
Built up area:- 45512 sqm.
Date of commisioning of construction:- 2011
D.G Set of 2X 1500 KVA & 1X750 KVA proposed.
Domestic effluent:- 101 KLD.STP of 120 KLD capacity proposed.    
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	Decision on 26.05.2010
Ask the unit to submit  environmental clearance.

Decision on 13.08.2010
issue reminder.
	Recommended for grant of consent to establish. 
	Issue consent to establish.

	6
	33714
	29-04-2010
	OAK INFRASTRUCTURE DEVELOPERS LIMITED
	ASSET NO 8, HOSPITALITY DISTRICT, DIAL, IGI AIRPORT
	NC-SW
	Commercial & Retail Complex
	Unit has submitted EC on 29.11.2010 along with affidavit.
Reminder issued on 17.07.2010.
Letter issued to the unit on 07.07.2010.                  
Built up area:- 48288 sqm.
Date of commisioning of construction:- 2011
D.G Set of 2X 1500 KVA & 1X1010 KVA proposed.
Domestic effluent:- 112 KLD.STP of 135 KLD capacity proposed.   

                                                                                                                                                                                                                                                                                                                                                                                                                                                                                                                                                                                                                                                                                                                                                                                                                                                                                                                                                                                                                                                                                                                                                                                                                                                                                                                                                                                                                                                                                                                                                                                                                                                                                                                                                                                                                                                                                                                                                                                                                                                                                                                                                                                                                                                                                                                                                                          
	Decision on 26.05.2010
Ask the unit to submit  environmental clearance.

Decision on 13.08.2010
issue reminder.
	Recommended for grant of consent to establish. 
	Issue consent to establish.
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	7
	35793
	01.12.2010
	INDIGO APPAREL
	PLOT NO D-65 , PHASE-I
	OKHLA INDUSTRIAL AREA
	Fabrication Finishing and Packing of Readymade garment Ups of Cloth Without  Washing / Dyeing
	   62nd (GREEN)
Issue Consent to Establish without washing ,dyeing and bleaching
	Water Consumption : 500Lt/D 
Waste Water generation : 
(a) Domestic effluent: 300Lt/D
(b) Trade effluent: Nil
Date of Commissioning: July 2010
ETP :  NA
D G.Set : 75 KVA
G W : Nil

CTE(Green) issued on 11.03.2011

A public complaint was received dated 03.05.2010

Inspection carried out on 27.10.10 & following were observed:
1. The unit is engaged in mfg. of Readymade Garments and having two oil fired boiler for pressing purpose.
2. A CTE under Green category has been obtained for the activity of Fabrication,Finishing and Packing of readymade garments and made ups without washing and dyeing in the name of M/S AMARJEET SINGH which is valid upto 05.05.2011
3. Source of water is out side tanker

SCN for revokation of Consent was and submission of application for CTE and CTO under orange category was issued to the unit on 18.11.2010

Letter was received from the unit on 06.12.2010 stating that they apply for CTE under Orange Category.
	Ask the unit to submit Bank Guarantee of Rs. 50,000 under Air Act valid for one year. If unit submits Bank Guarantee, consent to establish will be issued.
	Ask the unit to submit Bank Guarantee of Rs. 50,000 under Air Act valid for one year. If unit submits Bank Guarantee, consent to establish will be issued.
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	29688  

27-04-2009 

Orange Operate
	JUMBO INTERNATIONAL 

JUMBO HOUSE, JUMBO INDUSTRIAL ESTATE,OKHLA INDUSTRIAL ESTATE
	Okhla Industrial Estate
	FOOD PROOCESSING
	22-09-2010 : Decision of the Scrutinizing Committee be implemented without waiting for minutes.

09-11-2010 : Directions for disconnection of electricity / water supply be issued.
	14-09-2010 : A letter was issued to unit on 15.03.10 in the common misc matter file dealt by CMC- IV, with respect to conversion of Coal-Fired Boiler into Oil-Fired Boiler in compliance of decision of DPCC 

Board meeting held on 09.12.09. 

A note dated 30.08.10 was received from CMC-IV regarding inspection of  units which are using Coal-Fired Boiler. 

Accordingly, an inspection was carried out by DPCC on 01.09.10 & following were the observations:

1. M/s Midland Fruits and Vegetable Product (India) Private Limited and M/s Jumbo International are located in Ishwar Nagar, Jumbo House Okhla Phase-III, New Delhi without separate demarcation.

2. Both the units are having common coal fired boiler and ETP.

3. Cyclone followed by ESP has been installed with the coal fired boiler which was found in operation.

4. ETP was also found in operation.

5. The units are having two bore wells.

6. The units have not converted the coal fired boiler into oil fired so far as directed vide letter dated 15.03.10.

7. One more coal fired boiler was found installed which has been directly connected to main stack without any ECS. This boiler was not in operation during the inspection.

8. The issue of conformity of unit is to be discussed. Unit has submitted an letter on 09.09.10. 

Unit has not applied for CTE.

09-11-2010 : Direction u/s 31 (A) of Air Act  was issued to the unit on 29.09.10 in accordance not to operate its coal fired boiler till 15.10.10 in view of CWG 10 and to convert it into oil fired boiler by 15.10.10, failing which direction for disconnection of electricity, water supply will be issued. Letter issued to unit on 29.09.10 to apply for CTE also essentialy supported by the proof of conformity from DDA and also to remove the non-functional boiler and letter issued to DDA for conformity of the unit.

Unit has submitted an affidavit on 01.10.10 regarding not to operate the Coal Fired Boiler till 15.10.10 in view of Commonwealth Games and they have already removed the non-funtional boiler. they have also submitted a letter in this regard and mentioned that they had been in touch with I.P.Limited for making available to the PNG and requested to permit to operate coal fired boiler till 31.03.11 by which time PNG should be available to the unit.   

Now  the unit has again submitted a letter on 13.10.10 regarding conversion of coal fired boiler into oil fired boiler and requested that to kindly grant them permission till then to use coal fired boiler and also requested that to issue a letter for granting us time in converting coal fired boiler into PNG on or before 15.10.10 so that they can restart production on 18.10.10 and also requested to give opportunity to appear before us personally as to provide full facts about the arrangement made by them with IGL for supply of PNG to their unit.

No reply has been recieved from DDA w.r.t the letter dated 29.09.10 regarding conformity of land of the unit wrt MPD -2021. 

Unit has again submitted a letter on 01.11.10 alongwith the copy of reply submitted by M/s Midland Fruits and Vegetable Product (India) Pvt. Ltd. in response to DPCC letter dt.29.09.10 and stating that they have been leased out a portion in the factory premises by M/s Midland Fruits and Vegetable Product (India) Pvt. Ltd. where they are operating since 1986. Unit has not provided any copy of previous consent order with the name of Jumbo International.

As per record available in DPCC  no consent was issued to the unit by DPCC so far. However  Unit has not applied for CTE in response to letter dated 29.09.10 with essential supporting proof of conformity from DDA so far.

09-12-2010 : Directions for disconnection of electricity / water supply have been issued on 07.12.2010. Decision for disposal of consent application to be taken
	14-09-2010 : Recommended for issuance of directions u/s 31(A) of the Air Act not to operate its coal fired boiler till 15.10.2010 in view of Commonwealth Games and submit an affidavit in this regard in accordance with its representation within  03 days and to convert it into the oil fired boiler by 15.10.2010 in view of DPCC Board decision, failing which, directions for disconnection of electricity / water supply will be issued. The unit may be directed to apply for Consent to Establish also essentially supported by the proof of conformity from DDA. Ask the unit to remove the non functional boiler lying in the premises. The conformity of the unit may be confirmed from DDA also.

09-11-2010 : Directly placed before CMC
	Consent applications be refused.
	In view of the subsequent representation that unit has converted coal fired boiler into oil fired one. Unit be asked to submit Bank Guarantee of Rs. 1 Lakh under Air Act valid for one year. If unit does so, closure directions be revoked. For deciding the consent to operate application, reminder be sent to DDA on the conformity. 

	29689 

27-04-2009 

Orange Operate
	THE MIDLAND FRUIT & VEGETABLE PRODUCTS (INDIA) PVT. LTD 

JUMBO HOUSE, JUMBO INDUSTRIAL ESTATE, OKHLA INDUSTRIAL ESTATE
	Okhla Industrial Estate
	FOOD PROOCESSING
	22-09-2010 : Decision of the Scrutinizing Committee be implemented without waiting for minutes.

09-11-2010 : Directions for disconnection of electricity / water supply be issued.
	14-09-2010 : A letter was issued to unit M/s Jumbo International on 15.03.10 in the common misc matter file dealt by CMC- IV, with respect to conversion of 

Coal-Fired Boiler into Oil-Fired Boiler in compliance of decision of DPCC Board meeting held on 09.12.09.

A note dated 30.08.10 was received from CMC-IV regarding inspection of 

units which are using Coal-Fired Boiler.

Accordingly, as directed by EE, CMC-III, an inspection of the unit was carried out by DPCC officials on 01.09.10 & following were observed:-

1. M/s Midland Fruits and Vegetable Product (India) Private Limited and M/s 

Jumbo International are located in Ishwar Nagar, Jumbo House Okhla Phase-III, New Delhi without separate demarcation.

2. Both the units are having common coal fired boiler and ETP.

3.  Cyclone followed by ESP has been installed with the coal fired boiler which was found in operation.

4. ETP was also found in operation.

5. The units are having two bore wells.

6. The units have not converted the coal fired boiler into oil fired so far as directed vide letter dated 15.03.10.

7. One more coal fired boiler was found installed which has been directly connected to main stack without any ECS. This boiler was not in operation during the inspection.

8. The issue of conformity of unit is to be discussed.

Unit has submitted an letter on 09.09.10.

Unit has not applied for CTE.

09-11-2010 : Direction u/s 31 (A) of Air Act  was issued to the unit on 29.09.10 in accordance not to operate its coal fired boiler till 15.10.10 in view of CWG 10 and to convert it into oil fired boiler by 15.10.10, failing which direction for disconnection of electricity, water supply will be issued. Letter issued to unit on 29.09.10 to apply for CTE also essentialy supported by the proof of conformity from DDA  and also to remove the non-functional boiler and letter issued to DDA for conformity of the unit.

Unit has submitted an affidavit on 01.10.10 regarding not to operate the Coal Fired Boiler till 15.10.10 in view of Commonwealth Games and they have already removed the non-funtional boiler. they have also submitted a letter in this regard and mentioned that they had been in touch with I.P.Limited for making available to the PNG and requested to permitted to operate coal fired boiler till 31.03.11 by which time PNG should be available to the unit.   

Now, the unit has again submitted a letter on 13.10.10 regarding conversion of coal fired boiler into oil fired boiler and requested that to kindly grant them permission till then to use coal fired boiler and also requested that to issue a letter for granting us time in converting coal fired boiler into PNG on or before 15.10.10 so that they can restart production on 18.10.10 & also requested to give opportunity to appear before us personally as to provide full facts about the arrangement made by them with IGL for supply of PNG to their unit.

No reply has been from DDA w.r.t the letter dated 29.09.10 regarding conformity of land of the unit wrt MPD -2021.

Unit has again submitted a letter on 28.10.10 in response to DPCC letter dt.29.09.10 & stating that they are operating at the present site since 1962 & in this regard they are submitting the copies of  earlier Consent Orders under Water Act only, issued by Central Pollution Control Board on 30.03.82, 03.05.85, 24.07.86 and 30.12.88 (copies enclosed) and they have requested to waive the condition for applying consent to establish. 

As per record available in DPCC no consent was issued to the unit by DPCC so far.

Unit has not applied for CTE in response to letter dated 29.09.10 with essential supporting proof of conformity from DDA so far.

09-12-2010 : Directions for disconnection of electricity / water supply have been issued on 07.12.2010. Decision for disposal of consent application to be taken
	14-09-2010 : Recommended for issuance of directions u/s 31(A) of the Air Act not to operate its coal fired boiler till 15.10.2010 in view of Commonwealth Games and submit an affidavit in this regard in accordance with its representation 

within  03 days and to convert it into the oil fired boiler by 15.10.2010 in 

view of DPCC Board decision, failing which, directions for disconnection of 

electricity / water supply will be issued. The unit may be directed to apply 

for Consent to Establish also essentially supported by the proof of 

conformity from DDA. Ask the unit to remove the non functional boiler lying 

in the premises. The conformity of the unit may be confirmed from DDA 

also.

09-11-2010 : Placed directly to the CMC
	 Consent applications be refused.
	In view of the subsequent representation that unit has converted coal fired boiler into oil fired one. Unit be asked to submit Bank Guarantee of Rs. 1 Lakh under Air Act valid for one year. If unit does so, closure directions be revoked. For deciding the consent to operate application, reminder be sent to DDA on the conformity.


