Minutes of the 94th  meeting of the Committee Constituted for Deciding the Consent under Orange Category, held on 14.01.2009 in the Conference Room of Chairman, DPCC.

   The following persons attended the meeting:-
1. Sh. J. K Dadoo, Chairman DPCC

2. Dr. A.K. Ambusht, Member Secretary, DPCC

3. Sh. S.K.Gupta, Head Chemical Engineering Deptt., IIT Delhi 

4. Sh. B. Kumar, SEE, DPCC

5. Sh. M. Dwarakanth, SSO, Dept. of Env,. GNCTD.

6. EEs  of CMC – I, II & III / PGRC.

7. AEEs and JEE of CMC – I, II & III.
8. AEE, PGRC.
Following decisions were taken in the said meeting:- 

Agenda Item No.1-   Personal hearings 

(i) T. R. Sawhney Heritage Mall, Sector - 23, Rohini,  Delhi – 85
The unit did not come for personal hearing today. Call the unit for personal hearing on 28.01.2009 at 7.30 PM by pasting the letter on premises. 
(ii) Sh. Subhash Jain (Ankit Enterprises) Plot no.23, 2nd Floor, Ph-II, Badli Indl. Area

The unit came for personal hearing today. It has to file a clear affidavit stating that if it lets out its premises for any polluting activity without consent of DPCC, the water and power connection will be disconnected immediately and unit will be liable for prosecution under Air and Water Acts. Consent application of M/s Ankit Enterprises be refused.  Call on 02.02.2009.
(iii) Mc-Donold Restaurant, West Punjabi Bagh
The unit did not come for personal hearing today and sought time. Call for personal hearing on 02.02.2009 at 5.00 PM.  

(iv) Hemkunt Sahib Infrastructure Developers Ld., K. G. Marg, Behind Hindustan Building, Connaught Place, New Delhi
The unit came for personal hearing today. Consent to Establish granted. 
(v)  Construction of office complex "Anupam Tower Complex", 23-A, Najfgarh Road Indl. Area, New Delhi by M/s BPTP Ltd.
The unit came for personal hearing today. SIT to inspect and report. Call on 04.03.2009.
(vi)   Cross River Mall, 9B & 9 C, Central Business Shahdara, New Delhi-95
The unit came for personal hearing today.  It seeks time of two months to install the STP and also seeks lowering of the environmental damages and Bank Guarantee. The unit has already paid Rs. 1 Crores as environmental damages and should pay at least Rs. 1 Crores by way of Bank Guarantee valid for three years immediately along with an affidavit that it will complete the STP within 02 months positively. If this is done, the matter will be taken up on 04.03.2009 for appropriate order. Call on 02.02.2009 for filing Bank Guarantee and aforesaid affidavit. 

(vii)  Parsvnath Developers Ltd Commercial Project Azad Pur
The unit came for personal hearing today. It claims that the plot ‘B’ portion is not materializing on account of lack of change of land use. The unit claims that the total project cost now would be Rs. 36 Crores, and the built up area would be 10,400 sqm. Let the unit file revised Consent to Establish application with an affidavit and supporting documents about its actual project cost and actual built up area. Let this be done by 02.02.2009. If the change of land use materializes in future then the second plot which will have a built up area of more than 20,000 sqm will be liable for environmental clearance and other conditions. Call on 02.02.2009.
(viii)  DLF Retail Developers Ltd. (Construction of Shopping Complex named as DLF South Court  at Plot No A1 & P2B, Saket Place, Saket, New Delhi )
The unit came for personal hearing today. SIT has inspected and found certain deficiencies. Our advocate may be consulted for issuance of appropriate notice under the relevant Acts within a week.  Call on 18.02.2009.

(ix)  BJCL-BRITE (Joint Venture) ,NH-1 (Stretch from Samaipur to Jindpur)
The unit did not come for personal hearing today. File be submitted administratively with the letter received from the unit.
(x)  Parsvnath Developers Ltd in construction with M/s OCL Ltd Construction of Integrated Station Building and commercial development at Inderlok Metro
The unit came for personal hearing today. The total project cost is Rs. 19.37 Crores and the mall is operational for more than 04 years. It has been discharging about 10 KLD of waste water and tapping ground water without CGWA clearance. Unit falls under category of the units for imposition of environmental damages of 1 % of the project cost and 2 % of the project cost by way of Bank Guarantee valid for three years. The unit seeks time to comply with. Time allowed till 18.02.2009. Call on 18.02.2009 for compliance. 
Agenda Item No.2-   PGRC cases.

Decisions taken with respect to this agenda are tabulated and annexed as Annexure – 1.

Agenda Item No.3-   Special reference cases.

Decisions taken with respect to this agenda are tabulated and annexed as Annexure – 2.

Agenda Item No. 4-   Shopping Mall cases


Decisions taken with respect to this agenda are tabulated and annexed as Annexure – 3.

Agenda Item No.5- Construction Projects cases

Decisions taken with respect to this agenda are tabulated and annexed as Annexure – 4.

Agenda Item No. 6 : Cases of 194 Plastic Bag Manufacturing units who have applied for authorization

Trainees, CMC to inspect these units and collect the sample of polythene bags. These cases along with inspection reports will be considered on 04.03.2009. Call on 04.03.2009.
Agenda Item No. 7-  Cases of prosecution filed by DPCC.
This agenda could not be taken up by the Committee due to paucity of time and it was decided to take up the same in the next CMC meeting to be held on 21.01.2009.
Agenda Item No. 8-  Matter of 514 units in descending order in respect of waste water discharge upto 1000 Lt/day out of about 6000 pending consent applications.

The units whose application have not come upto the Committee but who have applied for consents are about 6000 units. An attempt was made to find out which are the most polluting among them so that they could be taken on priority and could be considered in the first lot and then a similar prioritization could be done for the rest. In this exercise in the first lot 514 units have been identified. Cases of these units will be taken up in the special CMC meeting to be held for this purpose on 30.01.2009. Call on 30.01.2009.

Table Agenda Item No. 1- M/s Parash Enterprises, Plot No 105, Pocket-J, Sector-1, Bawana Industrial Area

Ask the unit to file how it will dispose of plastic waste. Call on 04.03.2009 

Table Agenda Item No. 2: For all environmental clearance cases which are still under process  with MOEF, list be prepared by  Trainees of CMC and given to MS, DPCC to pursue the matter with MOEF for returning these cases to the SEIAA unless there is a valid reason. 

Table Agenda Item No. 3: 
(i) Aditya Infracon (P) Ltd , at Plot no 8 Jasola District New Delhi 
(ii) ABW Infrastructure Ltd 208-210, Rectangle -I , D-4, Saket Dist Centre, New Delhi
These are the 2 cases which have come before the Committee for the first time where the unit after setting up the STP has taken the initiative of using the water after treatment for the cooling towers of the chillers and D.G. Sets. It has also stated that it is utilizing the treated water for horticulture purposes thereby ensuring optimal utilization of water and conservation of ground water. Therefore, the unit is requesting for waiver of the environmental damages or imposition of a token amount only on account of financial / economic constraints faced by the unit and also for the initiative taken to check water pollution. 
This is the first time that a unit has come forward at the time of seeking Consent to Establish, with reuse of treated waste water in cooling towers and for horticulture. For this additional investment, the unit is asking for a lenient imposition of environmental damages and Bank Guarantee. This matter was deliberated almost for an hour in the Committee and varying options were considered. It was finally decided that if a monetary incentive is to be provided to the units which come forward for not only settling up the STP but also utilizing the waste water for cooling purposes and horticulture, and additionally toilet flushing in case of hotels, then they serve as models for others to emulate and lessen the burden of DPCC to monitor and check water pollution. Therefore, a 5th category is hereby created for all units which come for seeking Consent to Establish by installing an STP and making substantial utilization of treated waste water for the purposes of cooling and horticulture in case of commercial premises and cooling, toilets flushing and horticulture in case of hotel projects with environmental damages of 0.25 % of the project cost and Bank Guarantee of 0.50 % of the project cost valid for three years. This will meet the ends of justice in terms of control of water pollution and its effective utilization / conservation.  This facility will be extended to this unit subject to SIT inspection. Call on 18.02.2009.
Meeting ended with thanks to the Chair.


	Sno.
	Name
	Activity
	Facts of The Case
	Earlier Decision
	Action Taken
	Decision on 14.01.08

	1
	Complaint against Geniun Photocopier, 111- Jeeven Villa, daryaganj, Delhi.
	Trading & Repairing of Photocopier machine
	Inspection was carried out by Trainee Engineers on 02.07.08 w.r.t. a public complaint received from Sh. Narender Singhal through E-mail. During inspection, M/s Geninun Photocopier was engaged in trading and repairing of photocopy machine. Waste toner is collected in the container. Soot particle are blow away into the ambient air by blower. Unit has no DG Set.As decided in CMC on 31.07.08, a notice under Air Act was issued on 26.08.08. One more complaint received from the complainant on 17.09.08.As decided in CMC on 30.09.08, final reminder issued to the unit on 17.10.08. The unit submitted its reply on 24.11.08 and informed that all repairing activity are being done in enclosed area and the unit is observing all the norms and rules to keep air neat and clean.
	Decision on 11.12.08: Unit may be asked for submit Bank Guarantee of Rs. 10,000 valid for one year to ensure air pollution control in future. Call on 14.01.2009
	Letter issued to the unit on 24.12.08. Reply awaited.
	 Issue final reminder, failing which necessary action will be taken  as pler laws. Call on 04.03.2009.

	2
	Executive Club 439, Village Sahurpur,New Delhi-110074.
	Farm House
	Inspection was carried out by Trainee Engineer on 03.07.08. As decided in CMC on 13.08.08, the file was put up admistratively and as approved,  letter was issued to the unit on 09.09.08 regarding  installation of STP, reuse of the treated water, apply for Consent to Establish, submit permission from Central Ground Water Authority for using the ground water and correct all the deficiencies. The unit submitted it's reply and requested for grant of three months time to do the needful. As decided in CMC on 30.09.08, letter was issued to the unit on 17.10.08 to file adequacy report , noise monitoring report of D.G set and CGWA clearance.The unit submitted its reply on 27.10.08 and informed that two D.G Sets have been disposed off, there is no working tubewell etc. Final reminder for full complaince issued on 17.11 .08.Reply received on 01.12.08 alongwith certificate of 82.5 KV D.G Set issued by Bhaskar Powr Projects Ltd.  However , nothing has been mentioned regarding adequacy report, noise monitoring report  and clearance from CGWA.
	Decision on  11.12.08: Issue fresh reminder to file full compliance of the letter dated 17.11.2008 without any further delay, failing which, action as per law will be taken. Call on 14.01.2009.
	Letter issued to the unit on 24.12.08. Reply awaited.
	Call for personal hearing on 28.01.2009 at 7.45 PM. Ensure the letter reaches to the unit within a week.

	3
	M/s Govinda Colors Industries, E-102, Mayapuri Industrial area. Phase-ll, Delhi-64.
	manufacturing of poster colors.
	With reference to a public complaint received from Sh. Sukhvinder Singh, the unit was inspected by SIT on 24.09.08 and as approved, notice u/s 33(A) of the Water Act and u/s 31 (A) of the Air Act were issued to the unit on 13.10.08. Final reminder issued on 17.11.08. The unit submitted its reply on 18.11.08 informed that they have installed hood & section arrangement, increase the stack height of D.G Set, having no trade effluent discharge and applying for CTE. 
	Decision on 11.12.08: Call on 14.01.2009
	 
	Ask the unit to file agreement with the landlord who was complainant of this case. Call on 04.03.2009

	4
	Adyar Anand Bhawan,S-18, Main Market Green Park
	Restaurant
	The unit was inspected by DPCC official on 10.05.08  w.r.t. a public complaint received from the residents of the area.  As decided in CMC on 13.05.08, a letter was issued to the unit on 05.06.08 for installation of ETP, proper stack height with DG set and use of degradable plastic bags. As decided in CMC on 18.06.2008, reminder issued on 03.07.2008. The unit submitted it's reply on 14.07.2008 regarding correction of deficiencies and grant of three months time for installation of ETP. As decided in CMC on 13.08.08, the file was put up admistratively and as approved, a letter was issued to the unit on 09.09.08 regarding installation of ETP. As decided on 30.09.08, final reminder issued on 17.10.08. The unit submitted it's reply on 21.10.08 and informed that work for installation of ETP has been awarded and requested for grant of 2-3 months time for completion. 
	Decision on 05.11.08: Call on 14.01.09.
	Reply received on 08.12.08 and informed that the unit could not provide initial payment for installation of ETP. Reply received on 09.01.09 and requested for four months time to installed  ETP.
	Call for personal hearing on 02.02.2009 at 5.15 PM. 

	5
	Ever Green Sweet House, S-29 & 30, Main Market, Green Park, New Delhi
	Restaurant-cum-sweet shop
	The unit was inspected by DPCC official on 10.05.08  w.r.t. a public complaint received from the residents of the area.  As decided in CMC on 13.05.08, a letter was issued to the unit on 05.06.08 regarding submission of CTE, operation of ETP and use of degradable of plastic bags. The unit submitted its reply on 10.06.08 and applied for CTE on 09.06.08. As decided in CMC on 18.06.2008, the unit was inspected on 09.07.08 and No deficiencies were observed.As decided in CMC on 13.08.08, the file was put up admistratively and as approved, a letter was issued to the unit on 17.09.08 regarding submission of BG of Rs. 50,000 under water act and permission from CGWA.The unit submitted it's reply on 30.09.08 along with BG of  Rs 50,000 under Water Act and a copy of letter dated 29.09.08 submitted to the CGWA for clearance.As decided in CMC on 30.09.08, letter issued to the unit on 17.10.08.The unit submitted its reply alongwith copy of letter issued by Scientist D ,CGWA and informed that there no provision for clearance of old borewell.
	Decision on 11.12.08: Quoting the exiting notification of CGWA, a proper notice drafted by Sh. B. Kumar, SEE will be issued to the unit for compliance by 14.01.2009. Call on 14.01.2009.
	Letter issued to the unit on 07.01.09 regarding permission as well as detail of bore well. Unit has submitted reply on 12.01.09 and informed that they are applying for permission and submitted the detail of Bore well.
	Call on 04.03.2009

	6
	State Bank of Indore, S-31, Main Market Green Park
	Bank
	The unit was inspected by DPCC official on 10.05.08  w.r.t. a public complaint received from the residents of the area. As per the decision of Consent Management Committee (CMC) meeting held on 13.05.08 and 18.06.08, letters were issued on 05.06.08 and 03.07.08 (copy enclosed) to state bank of India in place of state bank of Indore due to typographical error.  As decided in CMC on 13.08.08, the file was put up admistratively and as approved, a letter was issued to the bank on 09.09.08 for installation of proper acoustic enclosure and adequate stack height with the DG Set. As decided on CMC on 30.09.08 , final reminder issued on 17.10.08. Letter was issued to the Deputy General Manager on 21.11.08. No reply received.
	Decision on 11.12.08:Issue reminder. Call on 14.01.2009.
	Letter issued to the Deputy General Manager,SBI on 24.12.08. Reply awaited.
	Isue final reminder. Call on 04.03.2009

	7
	Madras café, S-26, Main Market, Green Park
	Restaurant
	The unit was inspected by DPCC official on 10.05.08  w.r.t. a public complaint received from the residents of the area.  As decided in CMC on 13.05.08, a letter was issued to the unit on 05.06.08 regarding installation of oil and grease trap. No reply received.As decided in CMC on 18.06.08, final reminder issued on 03.07.08. which was returned back undelivered. The unit submitted its reply on 24.07.08 mentioning that the letter was received from the Deptt. and enclosed a newspaper clipping with the heading " Government 'generous' to restaurant owners, sweet-makers" . As decided in CMC on 13.08.08, a letter was issued to the unit on 09.09.08 for personal hearing on 17.09.08 before CMC which was returned back undelivered. The same was delivered by hand by Trainee Engineer on 17.09.08. The unit came for personal hearing 17.09.08.As decided in CMC on 30.09.08, final reminder issued on 17.10.08 . The unit submitted its reply on 07.10.08 and informed that oil & grease trap has been installed . Letter was issued to the unit on 17.11.08 to submit effluent analysis report. 
	Decision on 05.11.08: Issue final reminder. Call on 14.01.2009
	Letter issued to the unit on 24.12.08. Reply received from the unit on 23.12.08 that they are using degradable plastic bags and submitted effluent analysis report of Oil and Grease trap. 
	Ask the unit to apply for Consent to Establish immediately. Call on 04.03.2009

	8
	Complaint against industrial unit at H. No. 5A Flag Staff Road. Delhi 54
	House
	A public complaint was received from Sh. Devesh Singh, Jt.  Chief Electoral Officer. Inspection was done on 15.04.08. The details of observation are as under:- 1. The premises is being used for residential purpose and no under industrial activities 2. Adequate stack height & acoustic enclosure has been provided with 100 KVA DG Set installed at the roof top. Significant noise from the AC plant installed at  the roof top. Notice u/s 31A of Air Act was issued on 24.04.08. Case is to be ratified by CMC. Noise monitoring report taken from DPCC Lab. which reveals that 1.1 dBA is exceeding from Ambient Air Noise Quality Std.As decided in CMC on 13.08.08, file was put up the administratively and as approved , a letter was issued on 05.09.08 regarding control of noise pollution. Reply received on 15.09.08 and informed  that they are consulting experts to acheive zero difference of noise level during operation of the D.G Set and requested for grant of one month time. 
	Decision on 11.12.08: Issue final reminder. Call on 14.01.2009
	Letter issued to the unit on 24.12.08. Reply received from the unit on 05.01.09 and requested you to kindly waive off this minor violation of 1.1 dB. 
	No action.

	9
	M/s Sabka Bazaar,  (A unit of Home Stores India Pvt. Ltd.) C-3/10, Ground Floor, Janakpuri, New Delhi-110058.
	Retail outlets
	The unit was inspected by DPCC official on 09.04.08  w.r.t. public complaint received from the residents of the area.  As decided in CMC on 23.04.08, letter was issued to the unit for the correction of all the deficiencies. A similar complaint was also received through PGC on 29.04.08. Reply sent on 26.05.08. The unit was again inspected by Trainee Engineer on 24.07.08 and as approved, the unit was called for hearing on 20.08.08/ 22.08.08 before MS. On 22.08.08, one Mr. V.K. Singh, Advocate appeared without POA. As approved the unit was called for hearing on 03.09.08 before CMC. No one came for hearing on 03.09.08 and as decided by CMC, copy of complaint along with PGRC inspection report were sent to the unit on 22.09.2008 to submit its comments. No reply received. As decided in CMC on 30.09.08, final reminder issued on 17.10.08.No reply received. Notice for closure u/s 31(A) Air Act issued on 17.11.08.Reply received from the unit on  03.12.08 through it's council Sh. Vinod Kumar Singh,advocate, authorizing him to deal with the matter related to Pollution Control Committee. It has been informed that the public complaint was made by some rival group as there is no 
noise or air pollution coming out from the air conditioner(split).
	Decision on  05.11.08:  PGRC Trainee to inspect and confirm whether the compliance is factually correct. Call on 14.01.2009
	Inspection was carried out on 31.12.08. During inspection, noise was observed from one of the Chiller exhaust. Fiber sheet is provided to 5 AC's chiller except chiller exhaust which is creating noise.
	Ask the unit to file noise monitoring report from one of the  laboratories empanelled by DPCC. Call on 04.03.2009

	10
	Tivoli Garden Resorts(A unit of TG Leisure & Resorts P Ltd) , Chattarpur, Mehrauli, N. Delhi- 30
	Resorts with Restaurant & Banquette Hall
	Reminder letter issued on 30.10.08 to file Adequacy report and CGWA clearance. However, a reply was received from the unit on 16.10.2008 informing that they have applied to CGWA for permission to draw the ground water. It was also informed that the technical team of Guru Gobind Singh Indraprastha University has already inspected the ETP and the adequacy report will be submitted at the earliest after receipt of the same. The unit submitted adequacy report issued by G.G.S.IP University on 05.11.08.
	Decision on 11.12.2008:  Call on 14.12.2008.
	 
	Ask the unit to submit compliance of installation of flow measuring device. Call on 04.03.2009

	11
	Complaint received from A.K.Jain against Addiction Gym & SPA 
	Gym & SPA
	With reference to a public complaint received from Mr. A.K.Jain, inspection was carried out by Trainee Engineer on 18.07.08, during the inspection, noise was observed from DG Set and ACs. A letter was issued to the Gym on 28.07.08 for submission of Noise Monitoring report w.r.t. ACs and DG Set within 15 days. The unit submitted its reply alongwith noise monitoring report on 20.08.08 for ACs and DG Set. The ambient noise level are meeting the prescribed standrads. However, the stack height of 1 meter is not adequate. The stack height for 40 kVA D.G. Set should be atleast 1.28 meter from the roof top of the building/enclosure (if D.G. Set installed at roof top). A letter was issued to the M/s MBS Gymkhana to provide adequate stack height with the DG Set. A reply received from the M/s MBS Gymkhana states that they have already provided adequate stack height with the DG Set which was also mentioned in Noise Monitoring report. A letter was also issued to the Guru Gobind Singh Indraprastha University with a copy to the complainant, to conduct noise/air ambient monitoring in presence of complainant. 
Letter issued to the IP University on 17.11.08. 
	Decision on 11.12.08: MS to talk I.P. University and sort this out. Call on 14.01.2009.
	Noise monitoring report is submitted on 15.12.08.
	No action.

	12
	Complaint against M/s. New Laxmi Sweet and Confectioners in residential area of Mukherjee nagar
	Sweet shop-cum-mfg. of snacks
	With reference to a public compliant, the unit was inspected by DPCC officials on 11.06.08. As decided on 18.06.08, a letter was issued to the unit of 02.07.08 for the submission of CTE and BG of Rs 50000 under Air Act. The unit submitted its reply on 16.07.08 has applied for CTE on 16.07.08. The unit submitted the B.G of Rs 50000 on 19.07.08. As decided in CMC on 13.08.08 the case was put up administratively and as decided inspection was carried out by SIT on 01.10.08. Letter issued on 19.11.2008 to correct the deficiencies observed by the SIT. Reply received from the unit on 02.12.08 and informing that it has rectified all the mentioned deficiencies.
	Decision on 11.12.08: Ask the unit to file an affidavit clarifying all the correction of deficiencies. Call on 14.01.2009
	Letter issued to the unit on 24.12.08. Reply awaited.
	Call on 04.03.2009

	13
	Complaint against Waste water flowing from Haryana to Delhi from Ambience Mall, Gurgaon, Haryana.
	Mall and Housing Society
	Joint inspection was carried out by Haryana Pollution Control Board and Delhi Pollution Control Committee on 03.07.08. During inspection it was found that the water coming beneath the Ambience Mall meet in barsati nallah and due to  blockage cesspool has been formed in Delhi Govt. land area. The Ambience Mall owner has been directed not to discharge any type of trade/Domestic Effluent directly or indirectly into the drain with immediate effect and submit undertaking in this regard.As per decision of CMC meeting held on 11.07.2008, letter issued to MS, HPCB and HUDA on 28.07.08. Talked with DCF(W) and it was informed that the concerned file is under submission. Further a letter has been received from the Scientist'C'-I(HQ), HPCB addressed to HUDA, Gurgaon. The file was put up administratively and as approved, reminder letter was issued to HPCB & HUDA on 05.09.2008. As decided by CMC on 17.09.2008, the file was put up administratively and as approved a letter was issued to HUDA on 13.10.2008. As decided in CMC on 15.10.08, case was to be put up in CMC on 24.11.08.Now, two 
representations have been received from M/s Ambience Mall and M/s Landmark Infracon 
Pvt. Ltd. which shows that they are alleging on each other with respect to the discharge 
of the effluent which is being collected in NCT of Delhi in a form of Cess pool. Copy sent 
to District Town Planner, Gurgaon on 17.11.08 with a copy to the Administrative ,HUDA.
	Decision on 11.12.08: MS to talk to Gurgaon Authority, Call on 14.01.2009
	MS has talked to District Town Planner and Letter along with I/R was Faxed.
	Call on 04.03.2009

	14
	BJCL-BRITE (Joint Venture) NH-1 (Stretch from Samaipur to Jindpur)
	Construction Work
	As directed inspection of NH-1 in the stretch of Samaipur to Jindpur was carried out by DPCC officials on 20.08.08.and as approved notice u/s 31(A) of Air Act was issued on 28.08.08. The unit submitted its reply on 02.09.08. As decided on CMC on 10.09.08 ,a letter was issued to the unit on 22.09.08 to appear before CMC on 07.10.08 at 5:15 p.m. The unit came for personal hearing on 07.10.08 .As approved in the file letter was issued to the unit on 04.12.08 to submit an affidavit regarding water sprinkling trice a day. 
	Decision on 07.10.08: Call the GM, Projects for personal hearing on 14.01.2009, if it does not comply with the direction of CMC issued on 04.12.2008
	Letter issued to the unit on 24.12.08.
	The matter has already considered at Sl. No (ix) in Agenda Item No -1.

	15
	Complaint against M/s Chaddha Glass Company, E-2/1, Gali No. 1, Shashtri Nagar, Delhi.
	Glass Work
	A public complaint was received from Mr. Panna Lal against M/s Chaddha Company. The inspection was done by DPCC Trainee Engineers on 3.11.08.During inspection unit were found in operation and engaged in Glass Sheet Designing used for top of center table, window glass pan etc with the help of compressor and grinder. Unit is operating in non-conforming area.(i) Air pollution was observed during sharpening the glass. However, one exhaust fan is provided with a duct pipe dip into a water tank.(ii) Unit doesn't have any Govt. permission/license from MCD or other concerned Deptt.(iii) No DG Set was found in the premises. Letter sent to COI & MCD along with the complaints on 20.11.08.
	Decision on 03.12.08: Call on 14.01.09 for Compliance.  
	A reminder letter is issued on 23.12.08
	Call on 04.03.2009

	16
	Jai Bhawani Enterprises/ Bhawani Printers, D-21/6, Okhla Indl. Area, Phase II,Delhi
	Printing and Binding
	The unit was inspected by Trainee Engineer on 08.08.08 w.r.t. public complaint received from M/s ICON Printing Process Pvt. Ltd., D-22/1, Okhla Indl. Area, Ph-II, New Delhi. As decided in CMC on 13.08.08, the case was put up administratively and as approved, notice u/s 31 (A) of the Air Act and u/s 5 of EPA were issued on 03.09.08. No reply received from the unit so far. Final reminder issued to the unit on 21.10.08. Unit is call for personal hearing on 10.12.2008 at 5.00 PM.
	Decision on 11.12.08: The unit came for personal hearing today. It is supposed to file a letter of compliance of the deficiencies noted. Call on 14.01.09.
	Letter issued to unit on 24.12.08 to submit the compliance of deficiencies.
	Isue final reminder. Call on 04.03.2009

	17
	Complaint against Water and Air Pollution in Village Singhola, Nerala, Delhi - 40
	Dying and Washing of jeans
	A public complaint was received from Satvir Gaur against illegal factories operating in Singolla village.The inspection was done by AEE and DPCC Trainee Engineers .During inspection following units were found in operation and engaged im dying and washing of jeans . Trade effluent discharged without treatment in the open drain.Units are operating in non - conforming / residential areas and covered under F-27/33 catagory.  No measures taken to control the air and water pollution by the following units:(i) Shrawaan Kumar , Kittu manufacture (landlord- Rajender Singh Khatri), Oppo. Punjab and Sindh Bank, Vill. Shinghola, Delhi - 40.   (ii) Brij lal(landlord- Umad Singh),  Oppo. Punjab and Sindh Bank, Vill. Shinghola, Delhi - 40. (iii)Sanjeev Kumar ( Daya Nand Khatri),  Oppo. Punjab and Sindh Bank, Vill. Shinghola, Delhi - 40. (iv) Saleem (landlord - Rakesh khatri), Vill. Shinghola, Delhi - 40. Letter issued to Dy. Comm.(NW) on 20.11.08 for effective closure of the units.
	Decision on 03.12.08: Call on 14.01.09 for Compliance.  
	A reminder letter is issued on 23.12.08.Compliance awaited
	Letter  be put up from the side of Chairman, DPCC to Secretary(Revenue) administratively. Call on 04.03.2009

	18
	Complaint against M/s Laxmi Paper Machine, Plot No. PP-24, Gali No. 10, Near Police Station, Anand Parbat Industrial Area, New Delhi -05
	light engineering work
	With reference to a public complaint received through Ratilal K.Varma, M.P regarding polluting paint/powder coating units operating at Plot No. P.P 24, Gali No. 10 & Plot No. 111, Gali No. 9 , Anand Parbat Industrial Area, the unit was inspected by SIT on 04.11.08. The unit was found engaged in light engineering work and located at ground floor. The unit has not obtained CTE. As per the records, unit was having CTO-GREEN for the activity of job work of Machine Repairing (Light Engg. work) (valid upto 24.07.07). As approved notice under Air Act and Water Act was issued on 19.11.08.However, the same has been returned back undelivered, which was delivered by hand on 02.12.08 to the owner of the unit.
	Decision on 03.12.08: Call on 14.01.09
	 
	Shift to Green Committee for taking necessary action.

	19
	Complaint against M/s Deepka Enterprises, Plot No. 111, Gali No. 9 ,Near Police Station, Anand Parbat Industrial Area, New Delhi -05.
	Fabrication of boxes from sheet metals 
	With reference to a public complaint received through Ratilal K.Varma, M.P regarding polluting paint/powder coating units operating at Plot No. P.P 24, Gali No. 10 & Plot No. 111, Gali No. 9 , Anand Parbat Industrial Area, the unit was inspected by SIT on 04.11.08. The unit was found engaged in fabrication of boxes from sheet metals at ground floor, first floor and second floor. The unit has not obtained CTE.As approved notice under Air Act and Water Act was issued on 19.11.08.Reply awaited. 
	Decision on 03.12.08: Call on 14.01.09
	 
	Shift to Green Committee for taking necessary action.

	20
	M/s Durga Automobiles, A-2, Old Building, Jwalapuri CWC, Delhi.
	Automobile repairing workshop
	As directed, inspection was carried out by DPCC officials on 06.01.09 w.r.t. a public complaint. During inspection, unit was observed that the unit engage in automobile repairing workshop with the help of welding set and gas cylinder.   
	 
	 
	Send the complaint to Commissioner of Industries as it is non conforming area.

	21
	M/s Laxmi Narayan, A-3, Old Building, Jwalapuri, Delhi.
	Juicer Blade
	As directed, inspection was carried out by DPCC officials on 06.01.09 w.r.t. a public complaint. During inspection, unit found operating and engage in mfg. of Juicer Blades with the help of Power Press. Noise and vibration was observed during process.
	 
	 
	Issue notice under Noise Rules. Call on 04.03.2009

	22
	Mohd. Umer Khan,  
A-4 , Old Building Jwalapuri.
	Light Engg. Work. 
	As directed, inspection was carried out by DPCC officials on 06.01.09 w.r.t. a public complaint. During inspection, unit found operating and engage in light Engg. Work with the help of Lathe machines. Noise was observed during process.
	 
	 
	Shift to Green Committee for taking necessary action.

	23
	Sh. Shashi Kanta, A-5, Old Building, Jwalapuri.
	Auto Parts
	As directed, inspection was carried out by DPCC officials on 06.01.09 w.r.t. a public complaint. During inspection, unit found locked and no activity was observed from out side.
	 
	 
	No action.

	24
	Sh. Rameshwar Dyal, B-1, Old building, Jwalapuri, Delhi.
	Light Engg. Work. 
	As directed, inspection was carried out by DPCC officials on 06.01.09 w.r.t. a public complaint. During inspection, unit found operating and engage in light Engg. Work with the help of Lathe machines. Noise was observed during process.
	 
	 
	Shift to Green Committee for taking necessary action.

	25
	Sh. Avkash Nagpal, B-2, Old building, Jwalapuri, Delhi.
	Mfg. of Nails
	As directed, inspection was carried out by DPCC officials on 06.01.09 w.r.t. a public complaint. During inspection, unit found operating and engage in mfg. of nails with the help of lathe machines. Noise was observed during process.
	 
	 
	Shift to Green Committee for taking necessary action. Ask the unit to file noise monitoring report from one of the  laboratories empanelled by DPCC. 

	26
	Sh. Sadanand Yadav, B-4, Old building, Jwalapuri, Delhi.
	Mfg. of Nails
	As directed, inspection was carried out by DPCC officials on 06.01.09 w.r.t. a public complaint. During inspection, unit found locked and no activity was observed from out side.
	 
	 
	Shift to Green Committee for taking necessary action.

	27
	Sh Sunil Nagpal, B-5, Yellow Building, Jwalapuri.
	Mfg. of Nails
	As directed, inspection was carried out by DPCC officials on 06.01.09 w.r.t. a public complaint. During inspection, unit found operating and engage in mfg. of nails with the help of lathe machines. Noise was observed during process.
	 
	 
	Shift to Green Committee for taking necessary action. Ask the unit to file noise monitoring report from one of the  laboratories empanelled by DPCC. 

	28
	Sh. Sachinda, C-2, Old building, Jwalapuri, Delhi.
	Light Engg. Work. 
	As directed, inspection was carried out by DPCC officials on 06.01.09 w.r.t. a public complaint. During inspection, unit found operating and engage in light Engg. Work with the help of Lathe machines. Noise was observed during process.
	 
	 
	Shift to Green Committee for taking necessary action.

	29
	Sh. Tajbeer Singh, C-3, Old building, Jwalapuri, Delhi.
	Light Engg. Work. 
	As directed, inspection was carried out by DPCC officials on 06.01.09 w.r.t. a public complaint. During inspection, unit found operating and engage in light Engg. Work with the help of Lathe machines. Noise was observed during process.
	 
	 
	Shift to Green Committee for taking necessary action.

	30
	Sh. Vidya Sagar, E-4, Old building, Jwalapuri, Delhi.
	Oil Bond Distemper
	As directed, inspection was carried out by DPCC officials on 06.01.09 w.r.t. a public complaint. During inspection, unit found locked and no activity was observed from out side.
	 
	 
	Shift to Green Committee for taking necessary action.

	31
	Sh. Phool Kumar, E-5, Old building, Jwalapuri, Delhi.
	Mfg. of Nails
	As directed, inspection was carried out by DPCC officials on 06.01.09 w.r.t. a public complaint. During inspection, unit found operating and engage in mfg. of nails with the help of lathe machines. Noise was observed during process.
	 
	 
	Shift to Green Committee for taking necessary action. Ask the unit to file noise monitoring report from one of the  laboratories empanelled by DPCC. 

	32
	Sh. Ramesh Kumar, F-6, Old building, Jwalapuri, Delhi.
	Mfg. of Nails
	As directed, inspection was carried out by DPCC officials on 06.01.09 w.r.t. a public complaint. During inspection, unit found operating and engage in mfg. of nails with the help of lathe machines. Noise was observed during process.
	 
	 
	Shift to Green Committee for taking necessary action. Ask the unit to file noise monitoring report from one of the  laboratories empanelled by DPCC. 

	33
	Complaint against construction work at F-6, Fine Home Appartments, Mayur Vihar, Phase-I, Delhi-91.
	Appartment
	A public complaint received from Sh. Satayababu, R/o F-5, Fine Home Appartments, Mayur Vihar against the construction work at F-6, Fine Home Appartments. As approved, inspection was carried out by Trainee Engineers on 04.12.08. During inspection, no construction work was observed at the site. As informed, the construction work was completed since 2 weeks ago. However, Land occupied in front of stairs due to construction of a Almirah in front of his door.
	 
	 
	MS to call the complainant and sort it out. Call on 04.03.2009

	34
	Shri Sanatan Dharam, G.K. II Sabha, S- Block, Road No. 1, G.K.-II, New Delhi-48.
	Socio cultural orgnisation(Karante,uthala, dispensary etc.)
	The premises was inspected by PGRC officials on 16.08.2007 w.r.t. High Court Case titled as Sh.K.L.Talwar V/s LG & others. During the inspection it was observed that adequate stack height and acoustic enclosure has not been provided with the D.G. set of 5 KVA. The premises is being used for Mandir and for other socio cultural activities i.e. Karante, Uthala, Dispensary etc. As decided in CMC meeting held on 9.10.07, notice u/s 31 (A) of the Air Act was issued on 6.11.07. The unit submitted its reply on 27.11.07 and informed that action are being taken to provide acoustic enclosure. As decided in CMC meeting held on 29.02.08, a letter was issued to the unit on 14.03.08 to submit an affidavit regarding installation of adequate stack height and acoustic enclosure with the D.G. set of 5 KVA.. 
	Decision on 23.05.08: Repeat letter in the name of D. D. Aggarwal, General Secretary, M/s Sanatan Dharam Sabha And Ask him to positively comply within three weeks. Call on 18.06.08
	letter was issued to General Secretary on 05.06.08. The Hon'ble High Court deposed of the matter vide its order dated 17.09.08 with certain directions to respondents. As approved, reminder letter was issued on 12.11.08. The unit submitted its reply and informed that the said generator has become faulty since long back and lying unserviceable since then.
	Ask the unit to file an affidavit stating that either D.G. Set is not operational or it is complying with the norms notified for the D.G. Set. Call on 04.03.2009.

	35
	M/s Shri Ganesh Processors, 234, Pocket G, Sector 3, Bawana Indl. Area
	Washing & Dyeing of Jeans
	The unit was inspected on 28.04.08. w.r.t a public complaint and the Case was put up in CMC Meeting on 30.04.08. As decided in CMC Meeting, letter was issue to the unit on 09.05.08. for submission of CTE, BG and Affidavit. As approved, reminder issued on 02.07.08.Reply awaited.
	Decision on 18.06.2008
Issue reminder. Call on 18.07.08.
Decision on 13.08.08: Cases of PGRC to be put-up administratively.
	The cases of PGRC put up administratively and as approved, one more reminder has been issued to the unit on 03.09.08.Reply awaited.
	Paste the reminder on the premises. Call on 04.03.2009

	36
	The workshop,A-25, B-1Mohan Co-operative Industrial Estate, Delhi -44.
	Formulation cum service station
	An inspection was carried out by a team of DPCC official on 25.09.07 w.r.t a public complaint. Unit had no satisfactory air and water pollution control system and also had no measure under HWM Rules. The unit submitted bank guarantee of one laky under Air Act instead of separate B.G under Air Act, Water Act & HWM Rules. The unit has also submitted an affidavit regarding removal of deficiencies.
	Decision on 07.12.07 : Ask the unit to submit B.G of Rs one lakh each under Water Act, Air Act & HWM Rules.
	A letter issued to the unit to submit B.G on 11.02.08.Reply received on 07.03.08,unit submitted B.G under Air Act and HWM Rules each.
	Ask the unit to renew the Bank Guarantee for further one year under all the three Acts. Call on 04.03.2009

	37
	Radicura Pharmaceutical Pvt. Ltd.,B-117 Okhla Industrial Area, Ph -I, Delhi
	Mfg. of Pharmaceuticals(formulation).
	An inspection was carried out by a team of DPCC official on 08.08.07 w.r.t a public complaint.Notices u/s 33(A) of Water Act and u/s 5 of EPA issued on 14.09.07. Unit has submitted effluent analysis report of ETP.
	Decision on 07.12.07 : Let the unit file adequacy report of ETP.
	Unit submitted adequacy report on 21.02.08.
	Ask the unit to give compliance of flow measuring device and management of  the sludge as per HWM Rules. Call on 04.03.2009

	38
	M/s New Laxmi Engineers Works,A-5/14,Jhilmil Industrial Area,Shahdara.
	copper wire drawing with super enameling
	An inspection was carried out by DPCC official on 25.02.08 w.r.t a public complaint. The unit had wet scrubber installed but was defunctional situation. Chimney was found broken at several points.One D.G Set was found of 25 KVA without acoustic enclosure and adequate stack height.The unit has applied for renewal of authorization under HWM,whereas its not complying with HWM Rules.
	Decision on 29.02.08 : Issue notice to the unit listing out all deficiencies and ask for compliance affidavit within one month.Ask the unit to apply for Consent to Establish.
	Letter and notice u/s EPA and Air Act issued on 18.03.08. Reply received from the unit on 10.04.08 along with afidevit and informed that deficiencies have been rectified and unit has applied for CTE on 09.04.08.
	Shift this file to the concerned CMC. Call on 04.03.2009

	39
	M/s Raju Hosiry Factory, B-13,Jhilmil Industrial Area,Shahdara. 
	Al circles by casting
	An inspection was carried out by DPCC official on 25.02.08 w.r.t a public complaint. The unit had installed wet scrubber with chenallization system over furnace.However, it was observed that the unit has made 02 openings at roof top to escape the emission.
	Decision on 29.02.08 : Issue notice to the unit listing out all deficiencies and ask for compliance affidavit within one month.Ask the unit to apply for Consent to Establish.
	Letter and notice u/s EPA and Air Act issued on 18.03.08. Reply received from the unit on 04.04.08 along with affidevitand informed that deficiencies have been rectified and unit has applied for CTE on 04.04.08.
	SIT to inspect and report. Call on 04.03.2009

	40
	Complaint Against D.G. set  at A-14, Budh Vihar.
	Mobile tower of Airtel.
	Inspection was carried by DPCC oficial on 21.02.08 with reference to a Public complaint against D. G. set with Airtel mobile tower. During inspection, it was observed that the premises is used as a residence and use inverter for domestic purpose. A mobile tower has been installed at the roof top of the building with one DG Set of 15 KVA with acoustic enclosure and adequate stack height. 
	Decision on 29.02.2008: Ask the unit to convert to DG Set gas based/ inverter or shut down.
	Letter issued on 18.03.08. Reply awaited.
	Issue final reminder to the service provider. Call on 04.03.2009

	41
	M/s Diomond Anodizers, A-4, Gali No.1,Anand Parvat Indl. Area,Delhi
	Anodizing
	The unit was inspected by DPCC officials w.r.t. to a Public compliant. It was observed the unit was in operation and engaged in anodizing. The unit has submitted three separated reply along with photograph and channelisation system, ETP & Commercial LPG cylinder and copy record of sludge generated since 01.02.2007& an affidavit regarding rectification of deficiencies.
	Decision on 29.02.2008:While the unit has filed compliance affidavit. He did not item-wise compliance and he may be asked to furnish a fresh affidavit clearly indicating whether he has corrected all the deficiencies. He may also be asked to file BG of Rupee One Lakh each under three acts. 
	A letter was issued to the unit on 17.03.2008 to submit fresh affidavit & BG of Rs One Lakh under each act. Reply received on 20.03.2008, unit submitted three separate affidavit mentioning correction of all deficiencies and have asked to withdraw BG  
	Request rejected. Time allowed till 04.03.2009. Call on 04.03.2009.

	42
	M/s Chansons Automotives, B-44, Keshopur Indl. Area,New Delhi
	Servicing of vehicles including washing
	The unit was inspected w.r.t public complaint.The unit found engaged in servicing of vehicles including washing. As approved, closure directions u/s 31(A) of the Air Act,u/s 33(A) of the water Act and u/s 5 of EPA was issued on 01.10.07 to the unit.The unit filled consent to establish on 02.01.08.Letter issued to the unit on 29.01.08 granting time upto 29.02.08 to rectify the deficiencies. A letter received from the unit informing that all the deficiencies have been rectified except ETP. Further one representation received on 12.02.08 from the unit regarding restoration of electricity so that ETP  could be installed.
	Decision on 18.02.08: In view of the fact that ETP installation will require power connection the request of the unit too revoke the closure of power is accepted fro the limited purpose of full installation of ETP. Let him expedite and complete task by 31.03.08.
	A letter was issued to the unit on 25.02.08 for revocation of direction issued u/s Air Act, u/s Water Act, u/s 5 of EPA Act,1986.Reply submitted on 06.05.08 by the unit for installation of ETP, managing Hazardous waste and maintaining all rules.
	Ask the unit to file affidavit. Call on 04.03.2009

	43
	M/s International panacea ltd.,A-31/B-1 Extn.,MCIE,New Delhi-44
	Formulation of biotech product
	The unit was inspected w.r.t a public complaint. According to inspection the unit was having unsatisfactorily air and water control system. Letter seeking Bank Garantee and to apply for consent to establish were issued to the unit on 06.11.07.Reply received regarding installation of proper ducting to the dust emmission system and submission of BG.Letter issued to the unit related to Submission of BG, consent to establish and an affidavit on 06.02.08.Unit submitted a reply with affidavit for the complaince of the deficiencies which has been corrected on28.01.2008 and BG on 11.12.07 valid upto 10.12.08.Case was put up in CMC meeting on 29.02.08.
	Decision on 29.02.08: Reminder for Consent to Establish be issued.
	Final reminder letter issued to the unit on 17.03.08.No reply received.
	Shift to CMC-I, BMW.


	Sl.No
	Name of the unit
	Activity
	Earlier Decision, if any
	ATR/Remarks
	Decision on  14.01.2009

	1
	R.K. Industries, Plot No 257, Pocket-O, Sector-1, DSIDC, Bawana
	Mfg. of copper wire & PVC Cable (w/o trade effluent)
	                       27.09.2007
Disconnection of elctricity  & Watter supply and cancellation of MCD license in the name of the unit.                              
   18.02.2008
Ask him to submit BG of Rs. Fifty Thousand under Air Act, 1981 for one year period.
                      13.08.2008
Issue Consent to Establish and restore water & power supply, but ask him to take CGWA clearance for ground water drawl. Call on 10.09.2008
                        10.09.2008
Reminder for CGWA clearance. Call on 07.10.2008
                         07.10.2008
SIT to inspect and report. Call on 06.11.2008
                          06.11.2008
SIT to inspect and report. Call on 03.12.2008
                         03.12.2008
Unit be asked to manage the dust sludge generated from soap solution as per the provisions of HWM Rules such as installation of display board, storage container and HW record keeping. Also ask the unit to apply for Consent to Operate. Call on 14.01.2009.
	Letter issued.
Reply received on 06.01.2009 stating that steps advised by SIT have been executed and implemented i.e. installation of display boards, storage container and hazardous waste records.
	Ask the unit to confirm its assertions through an affidavit. Call on 04.03.2009.

	2
	M/s Royal Polyflex Pvt. Ltd., B-69, Ground Floor, Phase-I, Mayapuri Industrial Area, New Delhi-64
	Mfg. of virgin & rcycled plastic bags.
	                    06.11.2008
Call on 03.12.2008.
                    03.12.2008
The unit must follow the High Court order dated 07.08.2008 in letter and spirit. The unit is required to clarify the manufacturing process w.r.t. plastic bags, micron size of plastic bags and details of emission control systems installed. Call on 14.01.2009.
	Letter issued on 22.12.2008 to follow thw High Court order dated 07.08.2008. Also, to clarify manufacturing process with respect to plastic bags, micron size of plastic bags and details of emission control system installed.
No reply received.
	Trainees to do inspection and submit report on 04.03.2009. Call on 04.03.2009

	3
	Capital Trading Corporation, D-197/1, Phase-II, Okhla Industrial Area
	Trading of all type of scraps and oil with packing
	                    12.11.2008 (Green Committee)
The reply received from the unit indicates that the unit is handling the hazardous waste in the form of used oil in violation of the HWM Rules. Therefore, Consent to Establish under Green category be refused and case be put up before CMC(Orange) to be held on 03.12.2008 for further action. 
                    03.12.2008
SIT to inspect and report. Call on 14.01.2009
	SIT report to be discussed.
	The SIT report indicates that unit has not taken proper measures for collection & storage of waste electrical equipments. Unit may be asked to obtain MOEF registration for waste electrical equipment trading activity as a recycler. Call on 04.03.2009

	4
	M/s RMP International, A-51, Okhla Industrial Area, Phase-I, New Delhi-20
	 
	                        03.09.2008
Unit has applied for renewal of consent on 24.05.2007 under Green category. During inspection on 08.01.2008, it was found that unit is operating with oil fired boiler and washing activity. Therefore, unit falls under orange category and renewal of  consent was refused on 26.02.2008 with Show Cause Notice u/s 31(A) of Air Act and 33(A) of Water Act.

In view of the above, unit may be asked to apply for Consent to Establish under Orange category. Call on 30.09.2008
                         30.09.2008
Issue reminder. Call on 30.10.2008
                         05.11.2008
A speaking order may be passed to immeidatley file an application under orange category giving clear reasons and section of laws. Call on 10.12.2008
                          11.12.2008
Call on 14.01.2009
	Letter issued to the unit for applying CTE under orange category.nit has applied for CTE and also for authorisation under HWM.
	CTE can be grnated if the unit connects its outlet  with the conveyance system of CETP. Let the unit confirm it. Call on 04.03.2009

	5
	Rajdhani Floor Mills Pvt. Ltd., C-32, Lawrence Road Industrial Area
	Flour Mill
	                       17.07.2008
The unit draws 6 KLD of ground water. Ask the unit to file CGWA clearance. Call on 20.08.2008.
                       21.08.2008
Let the unit be informed that the payment receipt is not a CGWA clearance. Let him file the clearance.
                    30.09.2008
Ask the unit to file CGWA clearance. Call on 30.10.2008
                      05.11.2008
Call on 10.12.2008 after SEE examination on the issue of CGWA clearance.
                      11.12.2008
Ask the unit to install Rain Water Harvesting System and get itself registered in CGWA and file the report. Call on 14.01.2009
	Letter issued on 26.12.2008.
Reply awaited.
	Issue final reminder. Call on 04.03.2009

	6
	M/s Carlos Elec Industries, 54, C-7, Rama Road, Najafgarh Road Indl. Area, New Delhi
	Mfg. of capacitor
	                    03.09.2008
Send him a copy of the High Court order and ask him to comply with it and respond. Call on 30.09.2008.
                       30.09.2008
SIT to inspect and report. Call on 30.10.2008
                       05.11.2008
Ask the unit to install acoustic enclosure with the D.G.Set and proivde Emmission Control System (ECS) on mixer. Call on 10.12.2008
                      11.12.2008
Issue final reminder. Call on 14.01.2009.
	Reminder issued on 30.12.2008.
The unit has submitted its reply in response to our earlier letter dated 10.11.2008 wherein it has reported that ECS on mixer has been provided and D.G. Set is lying in dismental conditions and we want to sell it out and due to slum we are not geeting good sale amount.
	Unit should give photographs of the channelization system  showing the process area and submit an affidavit confirming the information given in its reply. Call on 04.03.2009

	7
	NCR Vehicles Pvt. Ltd., J-3, B-1, Extension, Mohan Cooperative Industrial Area
	Servicing, Repairing & Washing of Vehilces (Car)
	                           06.08.2008
The unit can be granted Consent to Establish if it has started the operation only with installation of ETP. Let the unit confirm it through an affidavit. Call on 29.08.2008.
                            28.08.2008
Call on 30.09.2008 with details of ETP.
                       30.09.2008
Call on 30.10.2008 with compliance of ETP installation.
                    05.11.2008
Final reminder. Call on 10.12.2008
                    11.12.2008
Ask the unit to file effluent analysis report and apply for Consent to Operate also. Call on 14.01.2009
	Letter issued for the submission of effluent analysis report and to apply Consent to Operate on 24.12.2008
Reply received stating that unit has approached to Indraprastha University for effluent testing report and after getting effluent testing report he will apply for Consent to Operate along with relevent documents.
	Call on 04.03.2009

	8
	SAVERA ENTERPRISES,
PLOT NO 417, SECTOR-5, POCKET-E, DSIDC INDUSTRIAL COMPLEX, Bawana
	MFG. OF ALLUMINIUM PRODUCTS (SHEETS, SLUGS & CIRCLE)
	                          27.9.2007
Disconnection of electricity & water supply and cancellation of MCD license in the name of the unit.. 
                         18.02.2008
Let the unit apply for Consent to Establish.
                             10.3.2008
Restore  power / water supply and grant Consent to Establish. 
                         01.5.2008
Inform unit that as per the Consent to Establish application, test report should not be more than 03 months old. Call on 03.06.2008.
                           11.06.2008
Issue reminder without waiting for minutes. Call on 25.06.2008.
                            25.06.2008
Call on 31.07.2008 with test report.
                              06.08.2008
Ask the  unit to file a copy of  CGWA clearance for ground water drawl. Call on 29.08.2008.
                           28.08.2008
Call on 30.09.2008 with CGWA clearance.
                            30.09.2008
Ask the unit to file CGWA clearance. Call on 30.10.2008
                    05.11.2008
Call on 10.12.2008 to confirm DJB supply.
                   11.12.2008
Issue reminder to the unit to confirm DJB supply. Call on 14.01.2009
	Letter issued on 26.12.2008.
Reply awaited.
	Issue final reminder to the unit to confirm DJB supply. Call on 04.03.2009

	9
	Competent Automobiles
Najafgarh Road Ind Area, New Delhi - 15
	Automobile service station
	               28.08.2008
Ask the unit to file fresh adequacy report. Call on 30.09.2008.
              30.09.2008
Call on 30.10.2008
                 05.11.2008
Call on 10.12.2008 for adequacy report.
              11.12.2008
Ask the unit to replace the flow measuring device. Call on 14.01.2009
	Letter issued.
Reply awaited.
	Issue final reminder. Call on 04.03.2009

	10
	Hotel Marina, G-59, Connaught Circus, New Delhi
	4 Star Hotel
	                   13.08.2008
Ask the unit to apply for Consent to Establish.  Call on 10.09.2008.
                    10.09.2008
Call on 30.09.2008.
                  30.09.2008
SIT to inspect and report. Call on 30.10.2008
                    05.11.2008
A letter may be sent to the unit asking for details of likely air /water/ noise polluton based on the large scale of renovation being done. The unit may also be asked to install Solar Water Heating System, Rain Water Harvesting System & CFL. Call on 10.12.2008
                  11.12.2008
Ask the unit to fully comply with the directions issued on 19.11.2008. Call on 14.01.2009
	Letter issued on 30.12.2008.
Reply awaited.
	Call for personal hearing on 02.02.2009 at 5.30 PM.

	11
	Prominent Hotel, Connaught Place, New Delhi -110001
	4 Star Hotel
	                                    17.09.2008
The unit has filed a letter seeking renewal of consent. Ask the unit to apply for Consent to Establish. SIT may inspect and report by 20.10.2008. Call on 20.10.2008.
                                    21.10.2008
SIT to inspect and report. Call on 31.10.2008.
                         05.11.2008
The following deficiencies were noted by SIT be communicated to the unit for correction:
(i) Mechanical mixing device with water arrangement need to be provided in the chemical dosing tank (separate for lime, alum and poly electrolyte).
(ii) ETP log book should be maintained regularly. 
(iii) Sludge should be managed as per HWM Rules.
(iv) Solar Water Heating system is required to be installed. 
(v) Stack height of D.G. Set needs to be raised as per norms. 
Call on 10.12.2008
                                11.12.2008
Ask the unit to file clear affidavit of all the deficiencies noted by SIT communicated to it. Call on 14.01.2009.
	Letter issued on 30.12.2008.
Reply awaited.
	Call for personal hearing on 02.02.2009 at 5.45 PM.

	12
	Taj Palace Hote, 2, Sardar Patel Marg, Diplomatic Enclave, New Delhi-110021
	Five Star Hotel
	                      15.10.2008
SIT to inspect and report. Call on  24.11.2008
                      24.11.2008
SIT report indicates that while the water consumption is 700 KLD, ETP takes care only 450 KLD. The unit must explain what happens to the rest through a water balance chart. The unit may also indicate why solar water heating system capacity has not been utilized. Thirdly, the unit may also indicate why the treated waste water is not being reused. Call on 10.12.2008. 
                       11.12.2008
Call on 14.01.2009
	Letter issued on 05.12.2008.
Reply awaited.
	Call for personal hearing on 02.02.2009 at 6.00 PM.

	13
	Indian Compressors Ltd. 37, Okhla Industrt
	Air & Gas Compressors
	                                 18.07.2008(CMC Green)
Seek clarification from DDA regarding the activity whether it falls under the list of negative activities as per MPD-2021.
                                 11.12.2008
SEE to draft an appropriate reply to the unit based on MPD-2021 and taking into account DDA's letter and get it approved administratively. Call on 14.01.2009
	Letter issued to the unit on 07.01.2009 based on MPD-2021 and taking into account DDA's letter.
	Call on 04.03.2009

	14
	M/s Precision Paper Products, T-22, Phase-II, Okhla Industrial Area, New Delhi-110020
	Mfg. of computer stationery
	                                  24.11.2008
Ask the unit to apply for authorization under HWM Rules. Call on 17.12.2008.
                                  23.12.2008
Consent to Establish granted. As regard, HWM application to be considered in next meeting with the new rules.
	CTE issued. Application for authorization under HWM Rules be considered with the new rules.
	Authorization granted subject to the condtiions that unit links its outlet with the conveyance system of the CETP and confirms it.

	15
	M/s Precision Paper Products, A-139, DDA Sheds, Phase-II, Okhla Industrial Area, New Delhi-110020
	Mfg. of computer stationery
	                                  24.11.2008
Ask the unit to apply for authorization under HWM Rules. Call on 17.12.2008.
                                  23.12.2008
Consent to Establish granted. As regard, HWM application to be considered in next meeting with the new rules.
	CTE issued. Application for authorization under HWM Rules be considered with the new rules.
	Authorization granted subject to the condtiions that unit links its outlet with the conveyance system of the CETP and confirms it.


	S. No
	Ref. No
	Name & Address
	EC Status 
	CTE status
	Bult Up Area
	Water / Waste Water details
	Total Project Cost
	Date of Commissioning
	Earlier Decisions
	ATR/REMARKS
	Decision on 14.01.2009

	1
	SA-4
	Naman Buildcon Ltd Proposed Commercial Complex   Namely Pacific Mall at Khyala New Delhi
	19.5.08
	Applied on 24-05-07
	42438.58Sqm
	375KLD/250KLD(STP)in EC
	65crores
	 
	                               24.11.2008
An application was filed by one Sh. I.K. Thakur on behalf of DMRC seeking time from the Committee. Unfortunately nobody from DMRC turned up. Since the unit is already under prosecution by the department, no further negotiation with the unit can take place. The unit was informed accordingly. 
                                  03.12.2008
Call for personal hearing on 10.12.2008 at 5.15 PM. 
                                   11.12.2008
Nobody came for personal hearing from DMRC. Prosecution proceedings will be continued. Call on 14.01.2009.
	Next date of hearing is 18.02.2009
	Call for personal hearing on 02.02.2009 at 6.15 PM.

	2
	SA-14
	DLF LTD Proposed multilevel parking Cum commercial complex, sarojni nagar
	EC submitted.
	CTE granted on 22.12.2008
	  Plot area is 3787.63sqmBuilt up area is 21887.9 Sqm 
	76.3 KLD
30.3 KLD (Municipal Authority + 46 KLD recycled water) / WW : 48.4 KLD
	80 Cr.
	May, 2010
	                           03.12.2008
CTE granted in view of the two letters received from NDMC and the fact that SIT inspection report indicates no construction so far. The unit must ensure full compliance of all Environment Clearance's conditons and must run the STP properly and professionally.
                            30.12.2008
Ask the unit to submit six montly monitoring report. Call on 14.01.2009 
	Letter issued for submission of six monthly monitoring report. 
Reply awaited.
	Call on 18.02.2009

	3
	SA-15
	DLF LTD Proposed multilevel parking Cum commercial complex, Baba Kharak Singh Marg
	EC submitted.
	Applied on 11.03.2008
	 Plot Area is 6085.5 sqm Built up area is 33, 633.28 Sqm 
	Water : 115.9 KLD (42.4 KLD MCD + 73.5 KLD recycled treated sewage) / WW : 77.4 KLD
	130 Cr.
	May, 2010
	                              03.12.2008
The unit may be asked to confirm the total number of trees that are likely to be felled and whether clearance from the Forest Department has been taken. Call on 17.12.2008.
                              18.12.2008
Ask the unit to file compliance report of compensatory aforsation of 10 times of tree cut i.e. 550 trees by 21.01.2009. Call on 21.01.2009
                                30.12.2008
Call on 14.01.2009
	Letter issued for submission of compliance report of compensatory aforsation of 10 times of tree cut i.e. 550 trees.
Reply awaited.
	Issue Consent to Establish.

	4
	SA-26
	Vishal Retail Ltd.,  B-374, Meera Bagh, Paschim Vihar, New Delhi
	Not applicable
	Applied on 22.09.2008
	9137.10 sqm
	3 KLD Water Tanker / 1 KLD
	68 Lakhs
	2006
	                            30.09.2008
SIT to inspect and report. Call on 30.10.2008.
                             05.11.2008
Ask the unit to increase the stack height of D.G. Set as per norms and confirm by 10.12.2008. Call on 10.12.2008
                              11.12.2008
Issue fresh reminder. Call on 14.01.2009
	Letter issued regarding increasing the stack height of D.G. Set as per norms on 20.11.2008.
Unit has submitted reply along with photographs.
	Ask the unit to file affidavit confirming the increased stack height and submit noise monitoring report  from one of the  laboratories empanelled by DPCC. Call on 04.03.2009

	5
	SA-28
	Vishal Retail Ltd.,  10209/10210, Padam Singh Road, karol Bagh, Delhi
	Not applicable
	Applied on 22.09.2008
	1858.05 sqm
	2 KLD / Water Treatment 0.8 KLD
	1.82 Crores
	2006
	                                30.09.2008
SIT to inspect and report. Call on 30.10.2008.
                            05.11.2008
Ask the unit to increase the stack height of D.G. Set as per norms and confirm by 10.12.2008. Call on 10.12.2008
                                11.12.2008
Issue fresh reminder. Call on 14.01.2009
	Letter issued regarding increasing the stack height of D.G. Set as per norms on 20.11.2008.
Unit has submitted reply along with photographs.
	Ask the unit to file affidavit confirming the increased stack height and submit noise monitoring report  from one of the  laboratories empanelled by DPCC. Call on 04.03.2009

	6
	SB-1
	Paliwal Developers Ltd (DLF), Galleria shopping  Mall Plot no 1 B Mayur Vihar
	Formal order not provided. Only website reveals the project is clear on 06.06.2007.
	08.02.2007
	12324
	139(MCD)+GW wil be used as supplmentry source./42(WW)
	56.06Cr. / 106.12 Cr.
	 
	                                   20.08.2008
The unit has not complied with the directions of CMC dated 24.07.2008. Issue final reminder to do so by 17.09.2008 and ensure that the mall does not commence its operation without Consent to Establish and Consent to Operate. If the unit does not comply with the DPCC directions, DPCC will be constraint to issue notice for closure.  Call on 17.09.2008.
                                   17.09.2008
Call on 07.10.2008
                                     07.10.2008
Issue reminder. Call on 06.11.2008
                                  06.11.2008
Call on 17.12.2008 with High Court order. 
                                 18.12.2008
Case to be discussed with advocate and decision will be taken thereafter.
                                     30.12.2008
SIT to inspect and report. Call on 14.01.2009
	SIT report to be discussed.
	In this case, MS to consult advocate and submit file administratively within a week. Call on 18.02.2009

	7
	SB-2
	Y.M.C Buildmore pvt ltd construction of Commercial Complex at plot no 12 Laxmi nagar Distt Centre (V3S Mall)
Now applied for CTO in the name of M/s Gahoi Build Well Ltd.
	 
	CTE issued on 18.04.2008.
Applied for CTO on 14.07.2008
	39093.14 sq m
	MCD-165 KLD   GW-40 KLD  DIS.-164 KLD
	165 crore
	 
	                                21.08.2008
SIT inspection has found certain deficiencies on the item-wise compliance of Environmental Clearance conditions. These deficiencies may be indicated to the unit for correction by 17.09.2008. Call on 17.09.2008.
                               17.09.2008
Call on 16.10.2008 in view of time requested.
                                15.10.2008
No action.
                                11.12.2008
Unit may be asked to comply with Environment Clearance's conditions fully and install composting facility and Solar Water Heating System in the mall. Call on 14.01.2009
	Letter issued on 24.12.2008.
Reply received on 13.01.2009.
	Call on 04.03.2009 for full compliance.

	8
	SB-12
	 Today Homes and InfrastructureLtd , Proposed Commercial Complex (North Gate obit plaza) at Gujaarawala Town  area of Model Town-II, New Delhi
	NA 
	 Not Applied For Consent to Establish, However had applied for NOC W.R.T EC on 24-08-06. The same has been forwrded to MOEF
	18444.5(as per letter)
	160(MCD)/ 74(WW)
	57.84Cr.
	2008
	                              21.10.2008
The unit came for personal hearing today. It is about to complete it’s mall and STP within a few months. The unit claims that it has applied for Consent to Establish in 2006 after taking over partially built up premises from another builder. It has also installed an STP of 80 KLD capacity to treat 74 KLD of waste water. By this, the unit claims that it has proved its intentions of treating waste water and also applied for the requisite permission from DPCC. The Committee deliberated on this matter and decided to grant some relief to the unit on account of its clear intentions. The unit will file environmental damages of Rs. 10 Lakhs and Bank Guarantee of Rs. 40 Lakhs valid for three years subject to the condition that solar water heating system will be installed before the mall becomes operational. The unit also to file the affidavit prescribed for Consent to Establish, since it is not available in DPCC’s file. Call on 06.11.2008 for compliance.  
                              06.11.2008
Call on 17.12.2008 for compliance.
                             11.12.2008
The request of the unit was considered and the Committee is of the view that 
similary placed units must pay uniform Environmental Damages and Bank Guarantee. 
In view of the above, unit may be directed to fully comply with the CMC decision dated 21.10.2008.  
Inform the unit accordingly. Call on 14.01.2009
	Letter issued on 26.12.2008.
Reply awaited.
	MS to consult advocate and submit file administratively within a week. 

	9
	SB-14
	Parsvnath Developers Ltd in construction with M/s OCL Ltd Commercial Complex at Pratap Nagar Metro
	NA 
	18/03/08
	2550.465 sq m
	MCD-17 KLD  GW-NIL  DIS.-7.68 KLD
	5.9 crore
	NA
	                      05.11.2008
Ask the unit to apply for CTO. Call on 10.12.2008
                       17.11.2008
CTE is issued only once. The unit should check its own premises properly as letter of CTE has not received back in DPCC. Ask the unit to apply for CTO. Call on 10.12.2008.
                         11.12.2008
Point out the deficiencies in Consent to Operate application. Ask the unit to file the same afresh. Call on 14.01.2009
	Letter issued regarding deficiencies in CTO application issued on 24.12.2008.
Reply received on 05.01.2009.
	Since the expected data is above the norms, ask the unit to install STP. Call on 04.03.2009.

	10
	SB-18
	Galleria Property Management Services Pvt. Ltd at  DT City Center, Block A, Communtiy Center, Shalimar Bagh, Delhi
	 15.01.2007
	Applied
	 
	 
	 
	 
	                            17.09.2008
The unit came for personal hearing today. It had nothing to add by way of any input but only requested for a solution to the problem. The unit felt that if DPCC was more rational in its imposition of damages they would have complied. The unit was informed that they cannot be treated on a different footing irrespective of their size, for a similarly placed situation. The unit was specifically asked about its response to the rejoinder sent by DPCC but the unit was not even sure whether they had received the reply and whether they had any logical points to make. 
Perusal of the record shows that the six monthly reports on compliance of Environmental Clearance conditions have not been filed by the unit in DPCC as required by DPCC. The deficiencies found by the SIT were indicated to the unit through a SCN whose reply is also not adequate as indicated in our rejoinder sent to unit. Since the matter is listed for hearing in Hon’ble High Court on 19.09.2008, matter will be taken up on 30.09.2008. Call on 30.09.2008.
                              07.10.2008
File be submitted administratively.
                               30.12.2008
SIT to inspect and report. Call on 14.01.2009
	SIT report to be discussed.
	MS to consult advocate and get notice for closure issued if the SIT inspection report so warrants. File may be submitted administratively within a week.

	11
	SB-20
	Pragya Products Private Ltd, Construcion of Commercial Mall name Shop in Park at Plot no 2 Community Centre Blk B , Shalimar Bagh New Delhi , Pragya Products Private Ltd
	_
	Original application dated 26/04/06 returned.
Now unit submitted CTE on 07.08.2008
	Built up area : 27265.42 sqm(as per latest CTE application)
	MCD : 193 KLD / GW : Not mentioned / WW : 54 KLD (as per latest CTE application) However, as per affidavit no trade effluent discharge.
	76.11 Crores (as per latest CTE application)
	Operational
	                                        17.09.2008       
Let this case be put up before SEIAA Committee in its first meeting. Let the unit be reminded to put up the STP as per its commitment given in its letter. Call on 30.10.2008 for compliance of STP installation
                             05.11.2008
Ask the unit to file adequacy report of STP and noise monitoring report of D.G. Set. Call on 10.12.2008
                                        11.12.2008
Call on 14.01.2009
	Letter issued for submission of adequacy report of STP and noise monitoring report of D.G. Set.
Reply received on 12.01.2009 with AR & noise monitoring report.
	Ask the unit to file environmental clearance. Call on 04.03.2009

	12
	SB-23
	Mamram Magic Mall , Plot no 4, CS/0CF Sec-24 Ph-III Rohini, New Delhi-85
	_
	39692
	888.62 sq m
	MCD-1500 L/D  GW-8 KLD  DIS.-500 L/D
	7.99 crore
	 
	                                  14.05.2008
The unit appeared for the personal hearing and pleaded that it s a small unit and is not covered by Environmental Clearance. It also pleaded ignorance of Air & Water Acts and therefore applied for the same when instructed by DPCC. The unit pleaded for lenient treatment and has agreed in writing to submit Bank Guarantee of Rupees Five Lakhs. The Committee feels that since the unit is small and has accepted the mistake of not having filed the Consent to Establish application in time, the unit may be allowed to file a Bank Guarantee of 1 % of project cost which comes about Rupees Eight Lakh. Since, DPCC has rounded of such Bank Guarantees to the nearest Five Lakh, the unit is allowed to file, a Bank Guarantee of Rupees Five Lakh only, before 28.05.2008. If it does so, the Consent to Establish be issued to him at the same time and report to CMC on 28.05.2008.
                        28.5.08
No action.
                         15.10.2008
No action.
                      11.12.2008
SIT to inspect and report. Call on14.01.2008
	SIT report to be discussed.
	Ask the unit to install Rain Water Harvesting system and to submit CGWA clearance. Call on 04.03.2009

	13
	SB-33
	Jaksons Developers Pvt. Ltd.,, Plot No 3B1, District Centre, Sector-10, Rohini, Delhi
	08.07.2008
	CTE issued.
	51393.57
	231(MCD)+320(GW)/ 347(WW)
	320 crores
	2010
	                                  17.09.2008
The unit came for personal hearing today and shows the letter of DDA whereby for the sake of Common Wealth project, they were asked to start the construction upto plinth level. This requires consultation with DDA and therefore, the matter be listed on 30.09.2008. Call on 30.09.2008.
                                  07.10.2008
Call on 20.10.2008
                                    21.10.2008
Call on 31.10.2008
                                   05.11.2008
Call on 10.12.2008
                                     11.12.2008
Call on 14.01.2009
	Environmnetal damages and Bank Guarantee not submitted by the unit. However, CTE issued as per decision taken in CMC meeting held on 03.12.2008 w.r.t. 33 hotels to whom DDA has allotted plots as part of Commonwealth game. 
	Ask the unit to file six monthly monitoring report. Call on 04.03.2009

	14
	SB-42
	Commercial cum Multiplex Project by Yogi Raj Promoters Pvt. Ltd. Plot No SU, Sector-22, Rohini
	EC received on 23.10.2008
	 
	88938.06 sqm
	MCD - 116 KLD / GW - Stand By / WW - 244 KLD
(STP Proposed)
	440 crores
	October, 2008
	                          17.09.2008
Ask the unit to submit Environmental Clearance. Call on 30.10.2008.
                           05.11.2008
Call on 10.12.2008 for itemwise compliance affidavit.
                           11.12.2008
Call on 14.01.2009
	Letter issued for submission of itemwise compliance affidavit.
Unit has submitted itemwise compliance affidavit on 05.01.2009.
	MS to inspect and report. Call on 18.02.2009

	15
	SB-60
	Omkara Developers (P) Ltd. & Jai Jai Siya Ram, (Mangalam Paradise), Plot No 8, Manglam Place, Sector -03, Rohini, Delhi
	 
	 
	 
	 
	 
	 
	                           06.11.2008
The unit came for personal hearing today. Unit claims that it was unaware of the law of Air & Water Acts and when it came to know, it applied for Consent to Establish under these acts in June, 2008. SIT report indicates that construction upto 70 % of the foundation work is complete. The total project cost is Rs. 90 Crores. Since the unit has voluntarily applied and it is a first time developer of the mall and showing its commitment to comply with all environmental law, the Committee deliberated and decided to levy Rs. 4 Lakhs as environmental damages and Bank Guarantee of Rs. 4 Lakhs valid for three years. If the unit complies with the same, issue Consent to Establish across the table. Call on 03.12.2008.
                              03.12.2008
Shift to Shopping Mall list. 
Ask the unit to install Solar Water Heating System, Rain Water Harvesting structures, CFL for Energy Conservation, provisions for Organic Waste Composting and to take up plantation of trees. Call on 14.01.2009
	Letter issued on 22.12.2008.
Reply awaited.
	Issue final reminder. Call on 04.03.2009

	16
	SC-6
	DLF Commercial Developers Ltd (Construction of proposed Commercial & Retail Centre at Plot no 10 & 11 Jasola New Delhi
	16/05/07
	08.02.2007
	28970.78 sq m
	MCD-563 KLD   DIS.-NIL   GW-NIL
	320.63 crore
	JAN. 2008  
	                             13.08.2008
Ask the unit to correct the deficiencies noted by SIT.  Call on 10.09.2008.
                             10.09.2008
Reminder to be issued for compliance of CMC decision dated 13.08.2008. Call on 30.09.2008.
                            07.10.2008
Call on 06.11.2008 with correction of deficiencies.
                           06.11.2008
Issue final reminder for compliance of CMC decision.Call on 17.12.2008
                            18.12.2008
Case to be discussed with advocate and decision will be taken thereafter.
                             30.12.2008
SIT to inspect and report by 14.01.2009. Call on 14.01.2009
	SIT report to be discussed.
	MS to consult advocate and submit file administratively within a week. Call on 18.02.2009

	17
	SC-8
	Aditya Infracon (P) Ltd , at Plot no 8 Jasola District New Delhi
	Area < 20,000 sq. m      
	 
	19906.801sq.m 
	MCD-212 KLD GW-Nil               Dis-80 KLD
	59.78 Crore
	 
	                              03.12.2008
CMC vide its earlier dated 20.11.2008 has aksed for adequacy report to be filed with correct waster water genertaion  on 17.12.2008. The unit has confirmed that it has set up the STP and applied for adequacy report to GGS, I.P. Univesity which will be submitted shortly. In view of the above, call on 17.12.2008 with adequacy report.
                               11.12.2008
Call on 17.12.2008.
                                 18.12.2008
With this principle established in the Committee today as per Table Agenda Item No 05, unit  may be asked to submit 0.5 % of the project cost by way of environmental damages and 1 % of the project cost by way of Bank Guarantee valid for three years. Call on 21.01.2009.
	Letter issued to the unit on 26.12.2008 for submitting Environmental Damages (0.5 % of the project cost) and Bank Guarantee (1% of thr project cost) before 21.01.2009 as decided in CMC on 18.12.2008. However unit has submitted adequacy report of STP and Noise Monitoring report.
	The decision is reported at Table Agenda Item No 3.

	18
	SC-9
	Shantiniketan Buildwell Ltd. (Proposed Office Cum Commercial cum Complex At Plot D-3, P-3, B , Saket)
	16/10/2007
	CTE issued on 08.04.08
	16616 sq. m
	MCD-145 KLD     GW-nil    Discharge-70 KLD
	70 crore
	Aug.2008
	                           21.10.2008
Ask the unit to apply for Consent to Operate. Call on 24.11.2008
                           24.11.2008
Issue final reminder to the unit to apply for Consent to Operate, failing which Bank Guarantee will be forfeited. Call on 07.01.2009.
                           07.01.2009
Return the Consent to Operate application received by post. Ask the unit to file proper Consent to Operate application along with adequacy report of ETP/ECS. Call on 18.02.2009
	Matter has already discussed in CMC on 07.01.2009.
	Call on 18.02.2009

	19
	SC-13
	DLF Retail Developers Ltd. (Construction of Shopping Complex named as DLF South Court  at Plot No A1 & P2B, Saket Place, Saket, New Delhi )
	15/01/07
	25/09/07
	53721 sqm
	MCD-400 KLD  GW-NIL   DIS-197 KLD
	245.35 crore
	Jan, 2008
	                               15.10.2008
Issue reminder without waiting for minutes. Call on 06.11.2008
                             06.11.2008
Issue final reminder for compliance of CMC decision.Call on 17.12.2008
                            18.12.2008
Call for personal hearing on 14.01.2009 at 6.30 PM.
                             30.12.2008
SIT to inspect and report by 14.01.2009. Call on 14.01.2009
	SIT report to be discussed.
	MS to consult advocate and file be submitted administratively within a week. Call on 18.02.2009

	20
	SC-18
	ABW Infrastructure Ltd 208-210, Rectangle -I , D-4, Saket Dist Centre, New Delhi
	Area < 20,000 sq. m      
	39484
	19815.567 sq m
	MCD- 27.85 LPD GW- NIL  DIS- 69.62 KLD       
	78.35 crore
	proposed
	                             03.12.2008
CMC vide its letter dated 21.11.2008 has aksed for adequacy report to be filed with correct waster water genertaion  on 17.12.2008. The unit has confirmed that it has set up the STP and applied for adequacy report to JMI University which will be submitted shortly. In view of the above, call on 17.12.2008 with adequacy report.
                               11.12.2008
Call on 17.12.2008.
                                18.12.2008
With this principle established in the Committee today as per Table Agenda Item No 05, unit  may be asked to submit 0.5 % of the project cost by way of environmental damages and 1 % of the project cost by way of Bank Guarantee valid for three years. Call on 21.01.2009.
	Letter issued to the unit on 26.12.2008 for submitting Environmental Damages (0.5 % of the project cost) and Bank Guarantee (1% of thr project cost) before 21.01.2009 as decided in CMC on 18.12.2008. However unit has submitted adequacy report of STP and Noise Monitoring report.
	The decision is reported at Table Agenda Item No 3.

	21
	SC-21
	M/s Suncity Project Pvt. Ltd.Vasant Square Mall Construction Project Pocket 5, Vasant Kunj, Delhi
	22/1/2007
	Applied on 04.07.07
	28960 sq m-/
	MCD-400 KLD  GW- Proposed  Dis- nil
	175 crores
	proposed Dec 2007        
	                          21.08.2008
The unit has filed BG of Rs. 75 Lakhs which is not in appropriate proforma. It must be returned to the unit for resubmission in a proper form. The BG should include (a) the value of the BG (b) the time period of three years for which it is valid (c) the cause of validity i.e. compliance to all evironemental legislation valid for city of Delhi.
The unit seeks time of one month for submission of cash penalty of Rs. 75 lakh. Time granted upto 17.09.2008.
                           17.09.2008
Call on 30.10.2008 in view of time requested.
                           24.11.2008
Call on 07.01.2009
                              07.01.2009
Issue final reminder for compliance of CMC decision dated 21.08.2008. Call on 18.02.2009
	Matter has already discussed in CMC on 07.01.2009.
	Call on 18.02.2009

	22
	SC-29
	TSL Mall /Shopping Mall, Sec-04 Dwarka, New Delhi
	Name not included in the list of Ecs accorded/pending with MOEF(as provided by MOEF)
	Not applied for consent to Establish
	 
	 
	 
	 
	                         30.09.2008
The unit came for personal hearing today.  The unit will submit Consent to Establish application with all the details on which basis it’s case will be considered on 30.10.2008. Call on 30.10.2008.
                       05.11.2008
Draft an appropaite reply in response to a letter that the unit does not fall under the Air and Water Acts. Show it aministratively for approval before issue. Call on 10.12.2008 for compliance.
                     11.12.2008
Call on 14.01.2009
	Letter was issued on 20.11.2008 in resonse to the CMC decision dated 05.11.2008
No reply received.
	SIT to inspect and report. Call on 04.03.2009

	23
	SC-30
	TSL Mall /Shopping Mall, Sec-06 Dwarka, New Delhi
	Name not included in the list of Ecs accorded/pending with MOEF(as provided by MOEF)
	Not applied for consent to Establish
	734.4  sq m    /As per inspection report 
	 
	9.0 CRORE 
	 
	                       30.09.2008
The unit came for personal hearing today.  The unit will submit Consent to Establish application with all the details on which basis it’s case will be considered on 30.10.2008. Call on 30.10.2008.
                      05.11.2008
Draft an appropaite reply in response to a letter that the unit does not fall under the Air and Water Acts. Show it aministratively for approval before issue. Call on 10.12.2008 for compliance.
                     11.12.2008
Call on 14.01.2009
	Letter was issued on 20.11.2008 in resonse to the CMC decision dated 05.11.2008
No reply received.
	SIT to inspect and report. Call on 04.03.2009

	24
	SC-33
	H.l Group, Sec-11, Dwarka , New Delhi
	Name not included in the list of Ecs accorded/pending with MOEF(as provided by MOEF)
	Not applied for consent to Establish
	3526.83 sqm
	MCD + Borewell = 12 KLD and Discharge : 9.6 KLD 
	Rs. 20 Crores
	June, 2006
	                               18.12.2008
The unit did not come for personal hearing, neither it has applied for Consent to Establish nor corrected the deficiencies noted by SIT. Issue a final reminder to the unit to apply for Consent to Establish and comply with deficiencies noted by SIT by 07.01.2009. Issue reminder without waiting for minutes. Call on 07.01.2009.
                                 07.01.2009
This is the clear cut case of lapse on the part of ALO-I who must explain how it has happened. It must also be ascertained from our counceal, Sh. Arun Birbal, how he did not receive this notice in this case. Our advocate be informed immediately with the case file to seek a review of this order. Meanwhile SIT to inspect immediately and report on 14.01.2009 since the High Court order says it is open for respondent to take suitable action as per law if any pollution is detected. Call on 14.01.2009. 
	SIT report to be discussed.
	MS to consult advocate and submit file administratively within a week. 

	25
	SC-40
	Vishal Retail Ltd.,  Mahipalpur Crossing Near Bikaner Sweets Mahipalpur, New Delhi
	Not Applicable
	Applied on 22.09.2008
	1161.71 sqm.
	MCD=800 Lit/day
GW=Nil
Dis.=300 lit/day.
	74.42 Lakhs
	08.12.2007
	                             06.11.2008
SIT to inspect and report. Call on 03.12.2008
                             03.12.2008
Ask the unit to install an ETP as Water Act does not permit release of waste water directly into the drain. Call on 14.01.2009.
	Letter issued on 22.12.2008 regarding installation of ETP.
No reply received.
	Issue final reminder. Call on 04.03.2009

	26
	SC-49
	The India Mall, New Friends Colony, New Delhi
	_
	_
	_
	_
	_
	_
	                           03.12.2008
Get reminder notice pasted on the premises. Call on 14.01.2009
	Notice pasted/ deliverd by hand.
Reply recived on 07.01.2009 stating that it is an old uilding which was earlier runnig as Grindlay Electrical India Cinema, which is not operational. Now, it is being run as shopping mall without any alteration and modification of disposal of sewage effluents No other details has been provided.
Reply awaited.
	Call for personal hearing on 02.02.2009 at 6.30 PM.


	S. No
	Ref. No
	Name & Address
	EC Status 
	CTE status
	Bult Up Area
	Water / Waste Water details
	Total Project Cost
	Date of Commissioning
	Earlier decisions
	ATR/Remarks 
	Decision on 14.01.2009

	1
	A-4
	MCD, Civic Center at J.N. Marg, Delhi
	18-07-2007
	Applied on 04-08-2005
	1,16,755 Sqm
	MCD--610.5  KLD & GW-- 541.8 KLD/ 488 KLD
	789.41 crores
	6/30/1905
	                   07.10.2008
Ask the unit to file itemwise compliance affidavit of Environmental Clearance. Call on 06.11.2008
                    06.11.2008
Isue final reminder. Call on 03.12.2008
                     03.12.2008
MS to speak to MCD and ask them to file the affidavit of itemwise compliance of Environmental Clearance's conditions by 14.01.2009. Call on 14.01.2009
	Letter issued for submission of itemwise compliance affidavit of enviornmental cleearance's conditions.
Reply awaited.
	Issue final reminder. Call on 04.03.2009

	2
	A-5
	 Executive Engineer, CPWD ,Const. of General Pool Housing at Dev Nagar
	4/10/2007
	Granted on 26.12.2008
	139294 sqm
	MCD 667 KLD/trade effluent (185 KLD) & domestic effluent (553 KLD) as per affidavit
	124.80 crores
	Dec, 2008
	                 05.11.2008
SIT to inspect and report. Call on 10.12.2008
                   11.12.2008
Consent to Establish granted subject to the condition that clearance of tree cutting from the Forest department will be taken. Call on 14.01.2009
	As per CMC decision dated 11.12.2008, CTE issued.
	No action.

	3
	A-6
	Constuction of DLF Towers (IT Office cum Retail Building) at Plot No 1 & 2 , Najafgarh Road, New Delhi by DLF Retail Developers Ltd, DLF Centre, 9th Floor, Sansad Marg, New Delhi
	Applied for EC before SEIAA on 05.09.2008
	Applied on 30.09.2008
	Built up area : 21936.322 sqm
	MCD : 41.6 KLD/ GW : Nil KLD / WW : Nil
	104.64 Cr. 
	Dec-10
	                                15.10.2008
Ask the unit to file environmental clearance. Call on 24.11.2008
                          24.11.2008
Call on 07.01.2009
                             30.12.2008
Call on 14.01.2009
	Letter issued for submission of enviornmental clearance.
Reply awaited.
	Call on 18.02.2009

	4
	A-7
	DLF Limted, Construction of Office Complex at DLF Centre Sansad marg
	_
	Applied for CTO on 22.08.2007and for CTE on 21.05-08. 
	18,553.8 Sqm
	MCD 13.33 KLD GW--61.17 KLD / 34 KLD
	3,04,163,477 crores
	1991
	                          05.11.2008
Ask the unit to submit effluent analysis report  from an approved laboratroy and stack height of the D.G.Set has to be raised to the appropriate level. Call on 10.12.2008
                           11.12.2008
Call on 14.01.2009
                            30.12.2008
Ask the unit to file effluent analysis report from the laboratory approved by DPCC and to raise the D.G. Set stack height as per norms . Call on 14.01.2009.
	Letter issued for submission of effluent analysis report and to raise the D.G.Set stack height as per norms.
Reply awaited.
	Issue final reminder. Call on 18.02.2009

	5
	A-11
	Parsvnath landmark developers Pvt. Ltd Construction of Residential Complex at Subhash Nagar
	Built up area 19928.954 sqm
	 26-03-07
	10759.4 Sqm in Application & 19,928.954 Sqm in Reply given to DPCC 
	MCD 114.34 KLD / 85.1 KLD (STP) 
	12,77,69,739 crores 
	2009
	                  05.11.2008
Issue Consent to Establish.
                 03.12.2008
Ask the unit to install Solar Water Heating System, Rain Water Harvesting structures, CFL for Energy Conservation, provisions for Organic Waste Composting and to take up plantation of trees. Call on 14.01.2009. Call on 14.01.2009
	Letter issued on 22.12.2008.
Reply awaited.
	Issue final reminder. Call on 04.03.2009

	6
	A-13
	Hotel Queen Road Pvt. Ltd., 19, Ashoka Road, Connaught Place, New Delhi-01
	Not applied
	Granted on 01.06.2006
	36.21 Sqm in Application & 20991Sqm in Reply   
	255
	65.50 crores
	___
	                                      05.11.2008
SEE to draft an appropriate letter covering the earlier deficiencies in respect of the reply recevied from the unit. File to be shown adminsitratively before issuance of the letter to be signed by MS next week. Compliance of that letter by 10.12.2008. 
                                    11.12.2008
Examine the reply of the unit carefully and submit administratively. Call on 14.01.2009
	File is under submission.
	Ask the unit to file full compliance of the earlier letter issued. Call on 18.02.2009

	7
	A-16
	D.D. Properties Pvt., Plot No 68 & 68/1, Najafgarh Road, Delhi
	Pending with MOE&F and also with SEIAA
	Applied on 31.101.2008
	__
	__
	__
	__
	                      05.11.2008
This case be put up in the first meeting of SEIAA. File to be retrieved from MOEF if not already returned.  Call for personal hearing on 10.12.2008 at 5.30 PM.
                        11.12.2008
The unit came for personal hearing today. It has two live applications for environmental clearance and should immediately withdraw its environmental clearance application from MOEF in view of SEIAA notified for Delhi and pursue its environmental clearance application before the SEIAA. Call on 14.01.2009.
	Letter issued on 30.12.2008.
Reply awaited.
	Call on 18.02.2009

	8
	A-18
	Delhi Cricket Association, Frozeshah Kotla, Delhi Gate, Delhi-110002
	Not applied
	Not applied
	__
	__
	__
	__
	                        03.6.2008
Issue reminder and also the unit may be asked to file clarification on the extent of ground water drawl and the permission for the same.  It may also be asked to file its water cess returns from May, 2003 when it became applicable. Reminder to be sent to site address in the name of Secretary, DDCA. Call on 11.07.2008
                        30.09.2008
Ask the unit to file the fresh proper consent application form along with requisite affidavit/documents  and exact consent fee.  Call on 30.10.2008.
                         05.11.2008
Issue  reminder. Call on 10.12.2008
                         11.12.2008
Issue final reminder. Call on 14.01.2009
	Unit has submitted the consent application for CTE which is not on the prescribed performa of DPCC by post through advocate. Regarding project report to be enclosed with the application, the unit has stated that it is not a new project but moderization of the stadium.
	Ask the unit to file the Consent to Establish application in proper format. Call on 04.03.2009

	9
	A-20
	Bharat Sanchar Nigam Ltd., CTO Project, ARA Centre, Jhandewalan, Delhi
	 Structural Fabricators Pvt Ltd (Anant Raj Agencies P ltd ) Commercial Complex at 67 Najafgarh Road, Kirti Nagar
	Applied on 25-04-08
	13655.1 Sqm
	MCD-35 KLD And GW 30 KLD   /  40 (STP)
	48.42crores
	31-07-07
	                            21.08.2008
The unit may be communicated the deficiencies noted by SIT and the water sampling done by DPCC and deficiencies of noise monitoring report  along with CGWA clearance .  Unit to file response by 17.09.2008. Call on 17.09.2008.
                           30.09.2008
Issue reminder. Call on 30.10.2008
                       05.11.2008
Issue  final reminder. Call on 10.12.2008
                      1112.2008
MS to write to CMD. Call on 14.01.2009
	Letter issued on 02.01.2009.
Reply awaited.
	MS to speak CMD, BSNL. Call on 18.02.2009

	10
	A-23
	Construction of Bakkarwala Housing Complex by DDA
	EC awaited
	Applied on 30.05.2008
	24781.20 sqm
	191 KLD/ 145 KLD MCD / 123 KLD  (discharge into STP of Nilothi)
	45 Crores
	January, 2009
	                         03.06.2008
DDA has filed Consent to Establish application for Bakkarwala Housing Complex. Since the built up area is more than 20000 sqm, ask the unit to apply for EC in MOEF expeditiously. Call on 11.07.2008. 
                       30.09.2008
Ask the unit to file environmental clearance. Call on 30.10.2008
                        05.11.2008
Issue fresh reminder. Call on 10.12.2008
                       11.12.2008
Issue final reminder. Call on 14.01.2009
	Letter issued for submission of enviornmental clearance on 30.12.2008.
Reply awaited.
	MS to speack Pr. Commissioner, DDA. Call on 18.02.2009

	11
	A-25
	Genger Rail Yatri Niwas (Roots Corporation Ltd.), Rail Yatri Niwas, New Delhi Railway Station, Gate No 2, Ajmeri Gate Side
	_
	Applied on 15.07.2008
	4842.456 sqm
	MCD : 20 KLD / GW : 30 KLD / 45 KLD (STP)
	1013.97 Lakhs
	July, 2008
	                  05.11.2008
The following deficiencies were noted by SIT be communicated to the unit for correction:
(i) Stack height of the D.G. Set needs to be raised as per norms. 
(ii) Approach and inspection platform need to be installed in the STP.  
(iii) Sludge tray and channelization for filtrate need to be provided with filter press
(iv) Cleaning is required in rain water harvesting pits.

Call on 10.12.2008
                          11.12.2008
MS to write to GM. Call on 14.01.2009
	Letter issued.
Reply awaited.
	MS to speack  GM, Northern Railway. Call on 18.02.2009

	12
	A-26
	M/s D.J. Infrastructure Developers (P) Ltd, 201, Surya Kiran Building, K.G Marg, New Delhi
	Built up area : 17500 sqm
	Granted on 18.12.2008
	Built up area : 17500 sqm
	MCD : 245 KLD / GW : Not mentioned / WW : 110 KLD
	Rs. 65 Crores
	2010
	                                              06.08.2008
CMC-I indicates that 01 out of the 5 sites is already in the CMC list and four other are not. CMC-I to issue notice to four sites at their address given in the DDA list for applying Consent to Establish and Environmental Clearance by 10.09.2008. This must be done without waiting for the minutes. 
                                      30.09.2008
Issue final reminder for Consent to Establish and Environmental Clearance. Call on 30.10.2008
                                    05.11.2008
Call for personal hearing on 10.12.2008 at 5.50 PM.
                                 11.12.2008
The unit came for personal hearing today and admits that it has undertaken the construction upto plinth level. The decision of the Committee will be communicated to the unit in due course. Call on 14.01.2009
	CTE issued as per decision taken in CMC meeting held on 03.12.2008 w.r.t. 33 hotels to whom DDA has allotted plots as part of Commonwealth game. 
	Call on 04.03.2009

	13
	A-27
	M/s ACG Hospitality Pvt Ltd, GL-13,  Kocha Tower, Jail road, New Delhi  proposed  Hotel at IA, Sub Distt Centre,  Hari Nagar , New Delhi.
	Plot area : 1500 sqm 
Built up area : 2250 sqm
	Granted on 18.12.2008
	Plot area : 1500 sqm 
Built up area : 2250 sqm
	MCD : 38 KLD / GW : Nil / WW : Nil
	Rs. 32 Crores
	March, 2009
	                                     05.11.2008
Ask the unit to visit DPCC's site and download the Consent to Establish form and apply. Also ask the unit to go to the MOEF site and download the Environmental Clearance application form and apply to DPCC. Call for personal hearing on 10.12.2008 at 6.00 PM.
SS(IT) to put up the Environmental Clearance application form on DPCC's website.
                                     11.12.2008
The unit did not come for personal hearing today but sent a letter. The decision of the Committee will be communicated to the unit in due course. Call on 14.01.2009
	CTE issued as per decision taken in CMC meeting held on 03.12.2008 w.r.t. 33 hotels to whom DDA has allotted plots as part of Commonwealth game. 
	Call on 04.03.2009

	14
	A-28
	 M/s DG Estate (P) Ltd, A-1/14, Paschim Vihar, Main Rohtak Road, New Delhi- 63  Proposed Hotel at IB, Sub Distt. Centre, Hari Nagar 
	Plot area : 1000 sqn 
Built up area : 2249.91 sqm
	Granted on 18.12.2008
	Plot area : 1000 sqn 
Built up area : 2249.91 sqm
	MCD: 25 KLD/Tanker : 40 KLD / WW : 48 KLD
	42 Crores
	Feb. 2010
	                                    05.11.2008
Call for personal hearing on 10.12.2008 at 6.10 PM.
                                11.12.2008
The representative of the unit came for personal hearing today and stated that the concerned manager Mr. Tajinder Singh met with an accident who was to come for the hearing. The decision of the Committee will be communicated to the unit in due course. Call on 14.01.2009
	CTE issued as per decision taken in CMC meeting held on 03.12.2008 w.r.t. 33 hotels to whom DDA has allotted plots as part of Commonwealth game. 
	Call on 04.03.2009

	15
	A-29
	 M/s S.Chand & Co. Ltd 7361,  Ram Nagar, Qutab Road New Delhi ,  Proposed Hotel at IC, Sub Distt. Centre,  Hari Nagar, New Delhi
	Built up area : 6000 sqm
	Granted on 18.12.2008
	Built up area : 6000 sqm
	MCD : 20 KLD/ GW : 30 KLD / WW : 40 KLD
	37 Cr.
	Sep, 2009
	                                              06.08.2008
CMC-I indicates that 01 out of the 5 sites is already in the CMC list and four other are not. CMC-I to issue notice to four sites at their address given in the DDA list for applying Consent to Establish and Environmental Clearance by 10.09.2008. This must be done without waiting for the minutes. 
                                      30.09.2008
SIT to inspect and report. Call on 30.10.2008
                                05.11.2008
Call for personal hearing on 10.12.2008 at 6.20 PM.
                                11.12.2008
The unit came for personal hearing today. The decision of the Committee will be communicated to the unit in due course. Call on 14.01.2009.
	CTE issued as per decision taken in CMC meeting held on 03.12.2008 w.r.t. 33 hotels to whom DDA has allotted plots as part of Commonwealth game. 
	Call on 04.03.2009

	16
	A-30
	Redevelopment of Connaught Place, New Delhi by M/s New Delhi Municipal Council
	Pending with MOEF
	Not applied
	Plot area 3,00,231.6393 sqm
	Total water  4130 KLD / Domestic & commercial use : 2700 KLD / WW : 2430 KLD
	671 crores
	 
	                 30.09.2008
Ask the NDMC to file Consent to Establish and Environmental Clearance. Call on 30.10.2008
                  05.11.2008
Call on 10.12.2008
                  11.12.2008
SIT to inspect and report. Call on 14.01.2009
	SIT report to be discussed.
	Call on 04.03.2009

	17
	B-2
	General Pool Office Complex, Shahdara
	__
	Not applied
	__
	__
	__
	__
	                      03.6.08
Send reminder. Call on 11.07.2008.
                  30.09.2008
Issue reminder at correct address. Call on 30.10.2008
                 05.11.2008
Paste the letter on correct address. Call on 10.12.2008
                  11.12.2008
Call on 14.01.2009
	Letter pasted on the correct address.
Reply awaited.
	Issue final reminder. Call on 04.03.2009

	18
	B-5
	DDA , New Construction  Project of a Housing Complex for economically weaker section at siraspur in Delhi
	Pending with Moef
	Not applied
	1,20,100sqm
	3766KLD in EC 
	121 crores
	__
	                   30.09.2008
Ask the unit to file Consent to Establish and give them downloaded address. Also ask for Environmental Clearance. Call on 30.10.2008.
                     05.11.2008
Ask the unit to download the Consent to Establish application form from DPCC's wbesite and file by 10.12.2008 and also file Environmental Clearance  by 10.12.2008
                     11.12.2008
Issue fresh reminder. Call on 14.01.2009
	Reminder for CTE & EC issued.
Reply received on 05.01.2009 from DDA & it was mentioned that the project is at planning staage and an such it is not ossible to till all the details in the performa and application for CTE will be submitted after the scheme is finalized.
	Call on 04.03.2009

	19
	B-6
	Indian Institute of Information Technology Campus of Indraprastha University at Surajmal Vihar, Shahdara
	16-01-08
	CTE issued.
	87,112.5 sqm
	 MCD 170 KLD  GW 80 KLD /190 KLD
	65.82 crores
	__
	                     30.09.2008
Issue reminder. Call on 30.10.2008
                    05.11.2008
SIT to inspect and report. Call on 10.12.2008
                   11.12.2008
Consent to Establish granted. Call on 14.01.2009
	As per CMC decision dated 11.12.2008, CTE issued.
	No action.

	20
	B-8
	Residential Complex near Rithala Metro Station by A.P. Real Estates
	EC received on 17.10.2008
	30-08-07
	29,889.65 Sqm
	MCD 221 KLD/ 170 KLD (STP)
	93.28 Crores
	2008
	                   11.07.2008
 The unit came for personal hearing today. Since it has not done any construction so far and since it is yet to get the building plan clearances, it may be prudent to wait for the Environmental Clearance first before decision on Consent to Establish. However, in the meantime unit be directed to file an affidavit saying it will not start any construction till it gets the Environmental Clearance. Call on 06.08.2008.
                   30.09.2008
Ask the unit to file Environmental Clearance. Call on 30.10.2008
                    05.11.2008
Ask the unit to file itemwise compliance affidavit of Environmental Clearance's conditions. Call on 10.12.2008
                     11.12.2008
Ask the unit to file itemwise compliance affidavit of environmental clearance's conditions as per earlier CMC decision dated 05.11.2008. Call on 14.01.2009
	Letter issued for submission of itemwise compliance affidavit of enviornmental cleearance's conditions.
Reply awaited.
	Issue final reminder. Call on 04.03.2009

	21
	B-9
	 Executive Enmgineer ( C) 
Building Projects Division,  Proposed Maharaja Agrasen College,Delhi University, Village Dallupura, Vasundhara Enclave, Delhi
	__
	12/11/2007
	20, 217.6 Sqm
	__   / 117 KLD (STP)
	38 Crores
	Dec----07
	                 03.6.08
Issue reminder for submission of a copy of Environmental Clearance, an affidavit indicating date of start of construction & date of completion, completion certificate, approved architectural drawing, details of builtup area, plot area, waste water discharge, ground water drawl, permission from Central Ground Water Authority, water cess payment as per Water Cess Act, 1977, DG sets . Call on 11.07.2008.
                30.09.2008
Paste letter on premises. Call on 30.10.2008
                   05.11.2008
Issue final reminder. Call on 10.12.2008
                   11.12.2008
Get it pasted. Call on 14.01.2009
	Letter pasted on the premises.
Reply awaited.
	Issue final reminder. Call on 04.03.2009

	22
	B-11
	 Executive Engineer 
Rohini Project Division - 13 proposed the Construction of HIG Multistoried Houses
Sec - 29, Rohini, Phase - IV,Delhi - 85
	Not applied
	18-01-08
	76160 Sqm
	MCD 634.1 KLD / 539 KLD  (STP)
	62.37 Crores
	March-----2010
	                 30.09.2008
Issue reminder for Environmental Clearance. Call on 30.10.2008.
                  05.11.2008
The case be put up in first agenda of SEIAA meeting. Call on 10.12.2008
               11.12.2008
Case be put up in next agenda of SEIAA. Call on 14.01.2009
	Meeting of SEIAA were held on 29.12.2008. 
	Call on 04.03.2009

	23
	B-13
	Construction of Zonal Development Plan of Narela Sector-A-1 to A-4 Narela Sub City Narela, Delhi Development Authority
	Pending with Moef
	Not applied
	__
	18, 149KLD IN EC / 10 MLD (STP)
	146.9 Crores
	__
	                   23.04.2008
Send notice to concerned Chief Engineer, DDA for compliance.
                  03.6.08
Issue reminder. Call on 11.07.2008.
                30.09.2008
Issue fresh letter at correct address. Call on 30.10.2008.
               05.11.2008
Call on 10.12.2008
                 11.12.2008
Issue fresh reminder. Call on 14.01.2009
	Reminder issued.
Reply awaited.
	Issue final reminder. Call on 04.03.2009

	24
	B-14
	Asrani Inns and Resorts Pvt. Ltd., (construction of 'JMJ' Hotel'), Wazirpur District Centre, Delhi
	08.07.2008
	CTE issued.
	59, 478.244 Sqm
	457 KLD IN EC/ 260 KLD (STP)
	235 Crores
	__
	                         24.11.2008
The unit did not come for personal hearing today and has overstepped the compliance date for filing environmental damages by about two months. The unit has again sought time of three weeks. Call for personal hearing on 10.12.2008 at 5.00 PM. 
                        11.12.2008
The unit came for personal hearing today and says that its Chief Executive Officer was preoccupied. The decision of the Committee will be informed to the unit in due course. Call on 14.01.2009.
	Environmental Damages and Bank Guarantee not submitted by the unit. However, CTE issued as per decision taken in CMC meeting held on 03.12.2008 w.r.t. 33 hotels to whom DDA has allotted plots as part of Commonwealth Games.
	Call on 04.03.2009

	25
	B-15
	Aman Hospitality Pvt. Ltd., (construction of '5 Star Hotel'), CBD Shahdara, Delhi
	08.07.2008
	CTE issued.
	91, 444 Sqm
	886 KLD in EC /615 KLD (STP)
	866 Crores
	__
	                               06.11.2008
TThe unit came for personal hearing today. It has completed the excavation work and caused air and dust pollution. In similarly placed cases, the Committee has levied the environmental damages of 0.05 % of the project cost and Bank Guarantee of equal amount which comes to approximately Rs. 43 Lakhs as environmental damages and Bank Guarantee of the same amount. The unit says that it has incurred certain expenditure by way of financial cost. Unit seeks for a lenient view, the Committee deliberated on this issue and felt that directions for deposition of the round figure of Rs. 40 Lakhs as environmental damages and Bank Guarantee of Rs. 40 Lakhs valid for three years would take care of any exigencies in the situation and this may be complied by 03.12.2008, which the unit agreed to file. Call on 03.12.2008 for compliance.
	Environmental Damages and Bank Guarantee not submitted by the unit. However, CTE issued as per decision taken in CMC meeting held on 03.12.2008 w.r.t. 33 hotels to whom DDA has allotted plots as part of Commonwealth Games.
	Call on 04.03.2009

	26
	B-16
	Delhi Administration Staff Quarters at Shalimar Bagh being constructed by PWD
	17.06.2008
	CTE issued.
	45,560.716 Sqm
	253 KLD / MCD - 135 KLD / WW- 190 KLD / Day
	54 Crores
	__
	                               23.04.2008
MS to speak to Engineer in Chief about Consent to Establish application after revealing to him the directions of MOEF. Call on 21.5.2008
                      03.6.08
Issue reminder. Call on 11.07.2008.
                   30.09.2008
Take up with Secretary, PWD.Call on 30.10.2008.
                        05.11.2008
Call on 10.12.2008
                      11.12.2008
In view of the clarification submitted by PWD that encroachment has been protected / prevented. Committee decided to issue Consent to Establish. Call on 14.01.2009
	As per CMC decision dated 11.12.2008, CTE issued.
	No action.

	27
	B-18
	Rugby Stadium and Multipurpose Hall
North Campus,
Delhi University,
Delhi
	Issued on 19.09.2008
	Applied for CTE on 12.6.08.
	9549 sqm + 20280 sqm
	240 KLD / MCD-240 KLD / STP proposed
	224 crores
	Nov, 2009
	                            01.05.2008
This case is listed in MOEF for discussion on 02.05.2008. Call on 14.05.2008.
                         03.6.08
Issue reminder. Call on 11.07.2008.
                   30.09.2008
Ask the unit to file Environmental Clearance. Call on 30.10.2008
                   05.11.2008
Ask the unit to file itemwise compliance affidavit of Environmental Clearance's conditions. Call on 10.12.2008
                 11.12.2008
Issue fresh reminder. Call on 14.01.2009
	Letter issued for submission of itemwise compliance affidavit of enviornmental cleearance's conditions.
Reply awaited.
	Issue final reminder. Call on 04.03.2009

	28
	B-20
	Shalimar Social Club Society (REGD.), Plot No 9, B Block, Community Centre, Club Road, Shalimar Bagh, Delhi-88
	Built up area is 3450 Sqm
	21-05-08
	3450 Sqm
	MCD .8 KLD & GW .4 KLD / 1.8 KLD (Oil and Grease Trap)
	7.44 Crores
	June ----2008
	                          03.6.08
SIT to inspect and report. Call on 11.07.2008
                   30.09.2008
Call on 30.10.2008
                    05.11.2008
Ask the unit to file effluent analysis report at the inlet and outlet from approved laboratory by DPCC. Call on 10.12.2008
                   11.12.2008
Call on 14.01.2009
	Letter issued for submission of effluent analysis report at the inlet and outlet.
Unit submitted effluent analysis report.
	Issue Consent to Establish.

	29
	B-21
	Executive Engineer, Provisional Division PWD (B& R) Civil Line, Gurgaon Poposed Construcion of Housing Complex at Plot no1 Near Single Pur Village, Shalimar bagh , Delhi-81
	Built up area is 17065.59 Sqm
	Not applied.
	17065.59 Sqm
	__
	__
	2009
	                       03.6.08
Ask the unit to file application fro Consent to Establish, a copy of Environmnetal Clearance, an affidavit indicating date of start of construction & date of completion, completion certificate, approved architectural drawing, details of builtup area, plot area, waste water discharge, ground water drawl, permission from Central Ground Water Authority, water cess payment as per Water Cess Act, 1977, DG sets. Call on 11.07.2008.
                      30.09.2008
Issue reminder. Call on 30.10.2008
                       05.11.2008
Issue reminder.Call on 10.12.2008
                     11.12.2008
Issue fresh reminder. Call on 14.01.2009
	Reminder issued.
Reply awaited.
	Issue final reminder. Call on 04.03.2009

	30
	B-22
	Construction of HIG Flats at Mukherjee Nagar by DDA
	 
	 
	 
	 
	 
	 
	                                18.06.2008
A letter received from MOEF for taking action under EPA against HIG Flats at Mukherjee Nagar. A well drafted letter may be put up by MS to Vice Chairman, DDA by 25.06.2008.
                        30.09.2008
Issue reminder for Consent to Establish and send a copy of MOEF letter to VC, DDA through a D.O. letter. Call on 30.10.2008
                      05.11.2008
Issue reminder for affidavit for itemwise compliance of Environmental Clearance's conditions and also apply for Consent to Estabilsh. Call on 10.12.2008. 
                        11.12.2008
Call on 14.01.2009
	Reminder issued for submission of itemwise comliance affidavit of enviornmental clearance's conditions and applying for Consent to Establish.
Unit has applied for CTE on 22.12.2008. 
Unit also submitted itemwise compliance affidavit.
	Issue Consent to Establish.

	31
	B-23
	Construction of Anand Vihar Railway Station at Anand Vihar
	 
	 
	 
	 
	 
	 
	                                    03.06.2008
The issue of Anand Vihar Railway Station was taken up by the Committee and it was decided to issue notice to GM, Northern Railway for applying for Consent to Establish for Anand Vihar Railway Station.  
                           30.09.2008
Ask the unit to apply for Consent to Esablish and Environmental Clearance. Call on 30.10.2008
                              05.11.2008
Issue reminder. Call on 10.12.2008
                            11.12.2008
Call on 14.01.2009
	Reminder for CTE & EC issued on 21.11.2008
Unit has applied for CTE on 26.12.2008.
	Call on 04.03.2009

	32
	B-24
	Construction of Hotel at A-1, Community Centre, Pitampura, Delhi by M/s Sita Kiran Inn Pvt. Ltd., 88-C, Civil Lines, Bareily (UP)
	 
	 
	 
	 
	 
	 
	                           11.12.2008
The unit came for personal hearing and has not applied for Consent to Establish. The Committee strongly feels that in such cases DDA should be asked to cancel their allotment since the unit has not shown seriousness in the matter. MS to write to Vice Chairman, DDA accordingly. Call on 14.01.2009.
	Letter issued to Vice Chairman, DDA as per decision of CMC dated 11.12.2008.
Reply awaited.
	Call on 04.03.2009

	33
	B-26
	Construction of Hotel at Plot No 32, CBD Shahdara by Mahagun Hotels Pvt. Ltd., C-215, Vivek Vihar, Delhi-95 
	Built up area : 8195.175 sqm
	CTE issued.
	Built up area : 8195.175 sqm
	MCD : 124 KLD / GW : Not Mentioned / WW - Not mentioned
	Rs. 38.35 Cr.
	March, 2010
	                         06.08.2008
CMC-II indicates that 10 out of the 20 sites are already in the CMC list and ten other are not on record of DPCC. CMC-II to issue notice to ten sites, at their address given in the DDA list for applying Consent to Establish and Environmental Clearance by 10.09.2008. This must be done without waiting for the minutes. 
                      30.09.2008
Issue final reminder for Consent to Establish and Environmental Clearance. Call on 30.10.2008
                           05.11.2008
Call for personal hearing on 10.12.2008 at 6.50 PM.
                         11.12.2008
The unit came for personal hearing today. Decision of the Committee will be communicated to the unit in due course. Call on 14.01.2009.
	CTE issued as per decision taken in CMC meeting held on 03.12.2008 w.r.t. 33 hotels to whom DDA has allotted plots as part of Commonwealth game. 
	Call on 04.03.2009

	34
	B-27
	Red Fox Hotel ( a unit of Oriole Dr. Fresh Hotels P vt. Ltd.), Plot No 6, Community Centre, Kondli, Delhi
	Plot area : 1800 sqm / Built up area : 1200 sqm 
	CTE issued.
	Plot area : 1800 sqm / Built up area : 1200 sqm 
	MCD : 20 KLD / GW : 56 KLD : WW : 45 KLD
	Rs. 47 Cr.
	December, 2009
	                         06.08.2008
CMC-II indicates that 10 out of the 20 sites are already in the CMC list and ten other are not on record of DPCC. CMC-II to issue notice to ten sites, at their address given in the DDA list for applying Consent to Establish and Environmental Clearance by 10.09.2008. This must be done without waiting for the minutes. 
                      30.09.2008
Issue final reminder for Consent to Establish and Environmental Clearance. Call on 30.10.2008
                           05.11.2008
Call for personal hearing on 10.12.2008 at 7.00 PM.
                         11.12.2008

The unit came for personal hearing today. Decision of the Committee will be communicated to the unit in due course. Call on 14.01.2009.
	CTE issued as per decision taken in CMC meeting held on 03.12.2008 w.r.t. 33 hotels to whom DDA has allotted plots as part of Commonwealth game. 
	Call on 04.03.2009

	35
	B-28
	Construction of Hotel at 4A District Center Mayur Vihar, IFCI Ltd., IFCI Tower, 61, Nehru Place, New Delhi-110019
	_
	CTE issued.
	4013.67 sqm
	MCD : 40 KLD / GW : Nil / WW : 22 KLD
	Rs. 8.33 Crores
	Oct, 2009
	                         06.08.2008
CMC-II indicates that 10 out of the 20 sites are already in the CMC list and ten other are not on record of DPCC. CMC-II to issue notice to ten sites, at their address given in the DDA list for applying Consent to Establish and Environmental Clearance by 10.09.2008. This must be done without waiting for the minutes. 
                      30.09.2008
Issue final reminder for Consent to Establish and Environmental Clearance. Call on 30.10.2008
                           05.11.2008
Call for personal hearing on 10.12.2008 at 7.10 PM.
                         11.12.2008
The unit came for personal hearing today. Decision of the Committee will be communicated to the unit in due course. Call on 14.01.2009.
	CTE issued as per decision taken in CMC meeting held on 03.12.2008 w.r.t. 33 hotels to whom DDA has allotted plots as part of Commonwealth game. 
	Call on 04.03.2009

	36
	B-29
	Construction of Hotel at 4B-Mayur Vihar ,Antarctica Properties Co. Ltd., SV-12-13, Bhakaji Cama Place, New Delhi
	 
	 
	 
	 
	 
	 
	                         06.08.2008
CMC-II indicates that 10 out of the 20 sites are already in the CMC list and ten other are not on record of DPCC. CMC-II to issue notice to ten sites, at their address given in the DDA list for applying Consent to Establish and Environmental Clearance by 10.09.2008. This must be done without waiting for the minutes. 
                      30.09.2008
Issue final reminder for Consent to Establish and Environmental Clearance. Call on 30.10.2008
                           05.11.2008
Call for personal hearing on 10.12.2008 at 7.20 PM.
                        11.12.2008
The unit did not come for personal hearing and has not applied for Consent to Establish. The Committee strongly feels that in such cases DDA should be asked to cancel their allotment since the unit has not shown seriousness in the matter. MS to write to Vice Chairman, DDA accordingly. Call on 14.01.2009.
	Letter issued to Vice Chairman, DDA as per decision of CMC dated 11.12.2008.
Reply awaited. However, unit has applied for CTE on 29.12.2008.
	Call on 04.03.2009

	37
	B-31
	Construction of Hotel at Community Center Vivek Vihar Perfect Learning Pvt.Ltd. A-12, Swasthya Vihar, Vikas Marg, Delhi-92
	 
	 
	 
	 
	 
	 
	                         06.08.2008
CMC-II indicates that 10 out of the 20 sites are already in the CMC list and ten other are not on record of DPCC. CMC-II to issue notice to ten sites, at their address given in the DDA list for applying Consent to Establish and Environmental Clearance by 10.09.2008. This must be done without waiting for the minutes. 
                      30.09.2008
Issue final reminder for Consent to Establish and Environmental Clearance. Call on 30.10.2008
                           05.11.2008
Call for personal hearing on 10.12.2008 at 7.40 PM.
                        11.12.2008
The unit did not come for personal hearing today. Decision of the Committee will be communicated to the unit in due course. Call on 14.01.2009.
                           30.12.2008
Treat this in the same category of remaining cases of 33 hotel sites, where Consent to Establish has not been applied and write to Vice Chairman, DDA for cancellation of the plot. EE/AEEs of CMC should not exercise their discretion over & above the CMC decisions. 
	Letter issued to Vice Chairman, DDA as per decision taken in CMC meeting w.r.t. 33 hotels to whom DDA has allotted plots as part of Commonwealth game. 
Reply awaited. SIT report to be discussed.
	Call on 04.03.2009

	38
	B-32
	Construction of Hotel at Community Center Anand Vihar Best View Properties Ltd. C/o Eldeco Infrastructure & Properties Ltd. SV-12-13, Bhikaji Cama Place, New Delhi
	 
	 
	 
	 
	 
	 
	                         06.08.2008
CMC-II indicates that 10 out of the 20 sites are already in the CMC list and ten other are not on record of DPCC. CMC-II to issue notice to ten sites, at their address given in the DDA list for applying Consent to Establish and Environmental Clearance by 10.09.2008. This must be done without waiting for the minutes. 
                      30.09.2008
Issue final reminder for Consent to Establish and Environmental Clearance. Call on 30.10.2008
                           05.11.2008
Call for personal hearing on 10.12.2008 at 7.50 PM.
                        11.12.2008
The unit came for personal hearing and has not applied for Consent to Establish. The Committee strongly feels that in such cases DDA should be asked to cancel their allotment since the unit has not shown seriousness in the matter. MS to write to Vice Chairman, DDA accordingly. Call on 14.01.2009.
	Letter issued to Vice Chairman, DDA as per decision taken in CMC meeting w.r.t. 33 hotels to whom DDA has allotted plots as part of Commonwealth game. 
Reply awaited.
	Call on 04.03.2009

	39
	B-33
	Construction of Hotel at  6A-Community Center  Mandavali Fazalpur Spirit Hotels & Resorts Pvt. Ltd., 59, Pkt-2, Jasola, New Delhi
	 
	 
	 
	 
	 
	 
	                         06.08.2008
CMC-II indicates that 10 out of the 20 sites are already in the CMC list and ten other are not on record of DPCC. CMC-II to issue notice to ten sites, at their address given in the DDA list for applying Consent to Establish and Environmental Clearance by 10.09.2008. This must be done without waiting for the minutes. 
                      30.09.2008
Issue final reminder for Consent to Establish and Environmental Clearance. Call on 30.10.2008
                           05.11.2008
Call for personal hearing on 10.12.2008 at 8.00 PM.
                        11.12.2008
The unit came for personal hearing and has not applied for Consent to Establish. The Committee strongly feels that in such cases DDA should be asked to cancel their allotment since the unit has not shown seriousness in the matter. MS to write to Vice Chairman, DDA accordingly. Call on 14.01.2009.
                         18.12.2008
On the date of the decision in CMC i.e. 03.12.2008, only 19 cases had applied for Consent to Establish and they were given benefit as per State Govt. order. 
	Letter issued to Vice Chairman, DDA as per decision taken in CMC meeting w.r.t. 33 hotels to whom DDA has allotted plots as part of Commonwealth game. 
Reply awaited. However, unit has applied for CTE on 22.12.2008.
	Call on 04.03.2009

	40
	B-34
	Construction of Hotel at 6B-Community Center  Mandavali Fazalpur SS Infrastructure F-109, Aditya Arcade, Community Centre, Preet Vihar, Delhi-92
	_
	CTE issued
	Built up area : 2007.57 sqm
	MCD: 56.6 KLD/ GW : Nil / WW: 44.4 KLD
	Rs. 23.85 Crores
	Dec, 2009
	                         06.08.2008
CMC-II indicates that 10 out of the 20 sites are already in the CMC list and ten other are not on record of DPCC. CMC-II to issue notice to ten sites, at their address given in the DDA list for applying Consent to Establish and Environmental Clearance by 10.09.2008. This must be done without waiting for the minutes. 
                      30.09.2008
Issue final reminder for Consent to Establish and Environmental Clearance. Call on 30.10.2008
                           05.11.2008
Call for personal hearing on 10.12.2008 at 8.10 PM.
                          11.12.2008
The unit came for personal hearing today. Decision of the Committee will be communicated to the unit in due course. Call on 14.01.2009.
	CTE issued as per decision taken in CMC meeting held on 03.12.2008 w.r.t. 33 hotels to whom DDA has allotted plots as part of Commonwealth game. 
	Call on 04.03.2009

	41
	B-35
	Construction of Hotel at 6C-Community Center  Mandavali Fazalpur Indo Green International 313-315, Vikas Deep Building, Laxmi Nagar District Centre, Delhi-92
	_
	CTE issued
	Built up area : 2007.59 sqm
	MCD: 56.6 KLD/ GW : Nil / WW: 44.4 KLD
	Rs. 23.75 Crores
	Dec, 2009
	                         06.08.2008
CMC-II indicates that 10 out of the 20 sites are already in the CMC list and ten other are not on record of DPCC. CMC-II to issue notice to ten sites, at their address given in the DDA list for applying Consent to Establish and Environmental Clearance by 10.09.2008. This must be done without waiting for the minutes. 
                      30.09.2008
Issue final reminder for Consent to Establish and Environmental Clearance. Call on 30.10.2008
                           05.11.2008
Call for personal hearing on 10.12.2008 at 8.20 PM.
                         11.12.2008
The unit came for personal hearing today. Decision of the Committee will be communicated to the unit in due course. Call on 14.01.2009.
	CTE issued as per decision taken in CMC meeting held on 03.12.2008 w.r.t. 33 hotels to whom DDA has allotted plots as part of Commonwealth game. 
	Call on 04.03.2009

	42
	C-2
	Delhi Judicial Academy, National Law School ad National Institute of Mediation & Concilation , Sector 14, Dwarka Phase-I, New Delhi
	Obtained on 22.01.2007
	Applied on 13.07.2006
	68183.14 sqm
	MCD - 178.2 KLD / GW - 118.8 KLD / WW - 235 KLD
	125 Cr.
	March, 2009
	           18.02.2008
Ask the unit to submit an affidavit seeking itemwise compliance of EIA conditions.          
  17.3.2008
MS to speak . Take up in April, 2008.
           23.04.2008
Call on 21.05.2008.
               03.6.08
Issue reminder. Call on 11.07.2008.
                  30.09.2008
Issue reminder. Call on 30.10.2008
                 05.11.2008
Issue reminder. Call on 10.12.2008
                 11.12.2008
Issue fresh reminder. Call on 14.01.2009
	Reminder issued on 24.12.2008 regarding submission of tem wise compliance affidavit of EIA conditoins. 
Reply not submitted yet.
	Issue final reminder.Call on 04.03.2009

	43
	C-11
	CPWD, Construction of general pool office Accomodation, Phase-II , Pushpa Bhawan, Pushp Vihar, Delhi
	Obtained on 05.06.2007
	Not applied
	88742metre square
	Wter requirment is 405 m3/day.
Dis : 320 m3/day
	NA
	 
	            18.02.2008
  Ask the unit to apply for Consent to Establish. Also ask them to file an affidavit for compliance of EIA clearance conditions.
          17.3.2008
MS to speak . Take up in April, 2008.
            23.04.2008
Call on 21.05.2008 with response.
               03.6.08
Issue reminder. Call on 11.07.2008.
          30.09.2008
Issue final reminder. Call on 30.10.2008.
                  05.11.2008
Issue reminder.Call on 10.12.2008
                 11.12.2008
Issue fresh reminder. Call on 14.01.2009
	Reminder issued on 24.12.2008 regarding submission of an affidavit indicating item wise compliance and to file application for CTE.
Reply awaited.
	Issue final reminder.Call on 04.03.2009

	44
	C-14
	DDA LIG Houses , Molar Bandh, New Delhi
	Pending with MOEF
	Applied on 04.12.2007
	33465metre square
	MCD-Quanitiy not mentioned, GW-Nil, Waste Water Discharge-595 KLD (domestic only)
	38 Crores
	Not mentioned
	          18.02.2008
Ask him to file EIA clearance. Separately a copy of this letter may be sent  to Addl. Secretary, MoE&F to ascertain the latest status of the unit and whether any order has been passed on their application by MoE&F.          
   17.3.2008
MS to speak . Take up in April, 2008.
             23.04.2008
Call on 21.05.2008 with response.
                03.6.08
Issue reminder. Call on 11.07.2008.
               30.09.2008
Issue reminder. Call on 30.10.2008
                  05.11.2008
Issue final reminder.Call on 10.12.2008
                  11.12.2008
Call on 14.01.2009
	Reminder issued for the submission of EIA clearance.
Reply received on 10.12.2008, stating that their EIA clearance is still pending with MOEF and they will submit the same as soon as they get it fro MOEF.
	Pursue the matter with MOEF for returning the case to the SEIAA. Call on 04.03.2009. 

	45
	C-18
	DLF Ltd. , Block W, Greater Kailash, New Delhi
	Obtained on 26.12.2007
	Issued on 18.11.2008
	23281.258 Sq. Metre
	MCD-155.72 KLD, GW-Nil, Discharge-44.61 KLD
	53.19 crore
	Feb., 2009
	                05.11.2008
Issue Consent to Establish. Inform court accordingly.
                  03.12.2008
List with all construction projects, no need for immediate repeat perusal.
                 30.12.2008
Ask the unit to submit six montly monitoring report. Call on 14.01.2009
	Letter issued for submission of six monthly monitoring report.
Reply awaited.
	Call on 18.02.2009

	46
	C-19
	Construction of General Pool Accomodation at Vasant Vihar
	_
	Not applied
	 
	 
	 
	 
	                30.09.2008
Issue final reminder. Call on 30.10.2008
               05.11.2008
Issue reminder. If no response received, action will be taken as per law. Call on 10.12.2008
                 11.12.2008
Issue fresh reminder. Call on 14.01.2009
	Reminder issued on 24.12. 2008 regarding submission of EIA clearance and to file application for CTE.
Reply awaited.
	Issue final reminder. Call on 04.03.2009

	47
	C-20
	Redevelopment of GPRA , Aliganj, Jorbagh
	Obtained on 23.12.2008
	Not applied
	67376.6 sqm.
	MCD: 487 KLD
	137 crores
	NA
	                30.09.2008
Issue final reminder for Consent to Establish and Environmental Clearance. Call on 30.10.2008
               05.11.2008
Issue reminder. If no response received, action will be taken as per law. Call on 10.12.2008
              11.12.2008
Send the letter at new address. Call on 14.01.2009
	Letter issued o 24.12.2008 regardng submission of CTE application and EIA clearance.
EIA clearance is submitted but not applied for CTE.
	Ask the unit to apply for Consent to Establish. Call on 04.03.2009 with compliance affidavit of environmenetal clearance's conditions.

	48
	C-21
	DLF Ltd., Group Housing Society at E Block, G.K-II
	_
	14-5-2007
	10733 metre square
	MCD-1095./4KLD,GW-Nil, Waste water discharge-24.73 KLD
	26.755 crore
	Feb,2009
	                 05.11.2008
The following deficiencies were noted by SIT be communicated to the unit for correction:
(i) Properly barricading of sufficient height is needed around batching plant in order to control dust emission from concrete batching plant as site is surrounded by residential buildings. 
(ii) Proper stack height needs to be raised with 250 KVA D.G. Set. 
(iii) Construction work is in progress.
Also call for personal hearing on 10.12.2008 at 5.00 PM.
                  11.12.2008
The unit came for personal hearing today and has filed a letter of compliance. SIT to inspect and report. Call on 14.01.2009.
                      30.12.2008
Call on 14.01.2009 with SIT report.
	SIT report to be discussed.
	MS to consult advocate and then submit file administratively.

	49
	C-50
	Reconstruction of Lal Mahal of 13th Century at Hazrat Nizamuddin area by Saqeebal Khair Trust
	_
	_
	_
	_
	_
	_
	                     03.12.2008
Get the correct address of Archaeological Survey of India and then issue another notice. Call on 14.01.2009.
	Approoached to ASI office at ASI, Janpath and ASI, Lal Quila. No proper address / detals provided.
	Letter from Chairman to Sh. Vijay Madan, Addl. Director Genera of ASI. Call on 04.3.2009

	50
	C-51
	Construction of Hotel at Uday Estate Pvt. Ltd. 6, Alipur Road, Ganpati Apptt Civil Lines, Delhi-54
	 
	 
	 
	 
	 
	 
	                         06.08.2008
CMC-II indicates that 10 out of the 20 sites are already in the CMC list and ten other are not on record of DPCC. CMC-II to issue notice to ten sites, at their address given in the DDA list for applying Consent to Establish and Environmental Clearance by 10.09.2008. This must be done without waiting for the minutes. 
                      30.09.2008
Issue final reminder for Consent to Establish and Environmental Clearance. Call on 30.10.2008
                           05.11.2008
Call for personal hearing on 10.12.2008 at 8.30 PM.
                           11.12.2008
The unit came for personal hearing today. As per the record of the CMC meeting of 03.12.2008, the unit had not applied for Consent to Establish. Therefore, procedure for writing to DDA for cancellation of plots be undertaken. Call on 14.01.2009.
	Unit has applied for  CTE. Decision is to be taken. File is under submission.
	File be submitted administratively.

	51
	B-30
	Construction of Hotel at Community Center Vivek Vihar Kunal Foods Products Pvt. Ltd., G-59, Aggarwal City Plaza, Plot No.17, Mangalam Place, Sec-3, Rohini, Delhi-85
	Build up area : 3753 sqm
	Applied on 14.11.2008
	Build up area : 3753 sqm
	MCD : 80 KLD / WW : 15 KLD
	Rs. 35 Crores
	December, 2009
	                         06.08.2008
CMC-II indicates that 10 out of the 20 sites are already in the CMC list and ten other are not on record of DPCC. CMC-II to issue notice to ten sites, at their address given in the DDA list for applying Consent to Establish and Environmental Clearance by 10.09.2008. This must be done without waiting for the minutes. 
                      30.09.2008
Issue final reminder for Consent to Establish and Environmental Clearance. Call on 30.10.2008
                           05.11.2008
Call for personal hearing on 10.12.2008 at 7.30 PM.
                        11.12.2008
The unit came for personal hearing today. SIT to inspect and report. Call on 14.01.2009.
                        30.12.2008
Consent to Establish granted.
	As per decision of CMC dated 30.12.2008, CTE issued.
	No action.


