Minutes of the 159th meeting of the Committee Constituted for Deciding the Consent under Orange Category, held on 14.02.2011 in the Conference Room of Chairman, DPCC.

   The following persons attended the meeting:

Sh. Dharmendra, Chairman, DPCC

Dr. A.K.Ambasht, Member Secretary, DPCC

Prof. S. K. Gupta, IIT-Delhi 

Sh. M. Dwarakanth, SSO, Dept. of Env., GNCTD 
Sh. B. Kumar, SEE, DPCC. 
EEs of CMC –  I, II, III & IV.


AEEs of CMC – I, II, III & IV.


Following are the minutes of the meeting:- 

Agenda Item No. 1-  Consent to Establish cases under Orange category  w.e.f. 01.11.2010 excluding the cases of  redevelopment areas considered by Scrutinizing Committee on 31.01.2011 / 01.02.2011 ( 82 cases)
. 

Decisions recommended with respect to this agenda are tabulated and annexed as Annexure – 1. 

Agenda Item No. 2- Consent to Operate/ Renewal cases under Orange category  w.e.f. 01.11.2010 excluding the cases of redevelopment areas considered by Scrutinizing Committee on 31.01.2011 / 01.02.2011 ( 110 cases)
Decisions recommended with respect to this agenda are tabulated and annexed as Annexure – 2. 

Agenda Item No. 3- The cases which were directed to put up in next CMC.

. 

Decisions recommended with respect to this agenda are tabulated and annexed as Annexure – 3. 

Table Agenda Item No 1:- M/s Airports Authority of India, Safdarjung Enclave, Delhi

Ask the unit to submit environmental clearance and not to start the construction work without obtaining environmental clearance and consent to establish. Letter be issued without waiting for minutes.
Meeting ended with thanks to the chair.
	S. No.
	Enquiry Counter I.D. No
	Application Date
	Industry Name
	Industry Address
	Industrial Area
	Category
	Activitiy / Product
	Earlier Committee Decision
	Remarks / Action Taken / ATR
	Recommendations of Scrutinizing Committee on 31.01.2011 / 01.02.2011
	Decision recommended by CMC(Orange) on 14.02.2011

	1
	35530  
	01-11-2010
	VEENOO ELECTRONICS
	PLOT NO 6A, TILAK NAGAR INDL. AREA
	Tilak Nagar Industrial Area
	Orange Establish
	PLASTIC ITEMS
	 
	07-12-2010 : ATR/Remarks Water Consumption :0.200 KLD Waste Water generation : (a) Domestic effluent: 0.080 KLD (b) Trade effluent:NIL Date of Commissioning: Nov. 2010 ETP : NO D.G.Set : NIL
	Recommended for grant of consent to establish.
	Issue consent to establish with the condition to provide hood & suction arrangement followed by a duct raised well above the roof levels (at least 2.0 meter above roof level) to channelize the process emissions. 

	2
	35534  
	01-11-2010
	AGGARWAL INSULATORS PVT. LTD.
	A-5/11, JHILMIL INDUSTRIAL AREA
	Jhilmil Industrial Area
	Orange Establish
	Mfg. of Copper Wire Drawing and Super Enameling on copper wires.
	 
	07-12-2010 : Water Consumption :120 L/Day Waste Water generation : (a) Domestic effluent: 50 L/Day (b) Trade effluent: Nil Date of Commissioning:Sept. 2010. ETP : No D.G.Set : Nil. closure direction u/s 31(A)were issued to the unit wrt CWG. CTO not yet applied. G.W.: Nil
	Ask the unit to submit an affidavit w.r.t. the rectification of the deficiencies regarding hazardous waste management and a Bank Guarantee of Rs. One Lakh each under Air Act and HWM Rules valid for one year. If unit submits the aforesaid documents, closure directions be revoked and consent to establish be issued.
	Ask the unit to submit an affidavit w.r.t. the rectification of the deficiencies regarding hazardous waste management and a Bank Guarantee of Rs. One Lakh each under Air Act and HWM Rules valid for one year. If unit submits the aforesaid documents, closure directions be revoked and consent to establish be issued.

	3
	35545  
	01-11-2010
	KHARBANDA RUBBER WAYS
	PLOT NO.-122, POCKET-O, SECTOR-1, DSIDC BAWANA INDUSTRIAL AREA
	Bawana Industrial Area
	Orange Establish
	Mfg. of Rubber/Plastic products Auto/Machinery Parts etc.
	 
	07-12-2010 : Water Consumption :200 lpd Waste Water generation : (a) Domestic effluent: 150 lpd (b) Trade effluent: Nil Date of Commissioning: 1st Jan 2011 ETP : Nil D.G.Set : Nil
	Recommended for grant of consent to establish. Subsequently, inspection be conducted.
	Issue consent to establish with the condition to provide hood & suction arrangement followed by a duct raised well above the roof levels (at least 2.0 meter above roof level) to channelize the process emissions. Subsequently, inspection be conducted.

	4
	35548  
	01-11-2010
	EAST INDIA MFG. CO.
	3, PH-II, BADLI INDUSTRIAL AREA
	Badli Industrial Estate
	Orange Establish
	DYEING OF TAPE AND ZIPPERS.
	 
	21-12-2010 : CMC decision: 27.08.2010 ask te unit to apply for consent to establish. ATR: Water Consumption : 3.1 Kilo ltr/day Waste Water generation : (a) Domestic effluent: 0.06 Kilo ltr/day (b) Trade effluent: 1.5 Kilo ltr/day Date of Commissioning: 2006 ETP : proposed D.G.Set : NIL Letter issued on 07.10.2010 Reply received on 09.11.2010
	Recommended for grant of consent to establish.
	Issue consent to establish.

	5
	35549  
	01-11-2010
	JAHANGEER OFFSET PRESS
	PLOT NO 2975, SECTOR-5, DSIDC, NARELA INDUSTRIAL AREA
	Narela Industrial Area
	Orange Establish
	JOB WORK OF OFFSET PRINTING.
	 
	21-12-2010 : ATR: Water Consumption : 0.200 Kilo ltr/day Waste Water generation : (a) Domestic effluent: 0.150 Kilo ltr/day (b) Trade effluent: NIL Date of Commissioning: Dec, 2010 ETP : N/A D.G.Set : NIL
	Recommended for grant of consent to establish.
	Issue consent to establish.

	6
	35556  
	02-11-2010
	MAHESH METAL WORKS
	B-28, PHASE-II, MAYAPURI INDUSTRIAL AREA
	Mayapuri Industrial Area
	Orange Establish
	C I CASTING THROUGH PIT FURANCE AND MACHINING WITH LATHE
	 
	08-12-2010 : Earlier CMC Decision: Decision on 09.11.2010 Ask the unit to remove the cupola furnace from the premises and confirm on an affidavit. Details: Water Consumption :100 LPD Waste Water generation : (a) Domestic effluent: 150 LPD (b) Trade effluent: NIL Date of Commissioning:1975 ETP : N/A D.G.Set : Proposed ATR/Remarks: Earlier CTO issued valid upto 18.06.2005 Applied for CTO_R on 13.06.2005 vide application no. 14454. Applied for CTO_R on 09.09.2008 vide application no. 27250. Unit applied for renewal of authorization under HWM Rules on 14.08.2006 vide ID no 3307. Unit inspected on 28.09.2010 w.r.t. CWG. On the basis of deficiencies observed during the inspection, Closure Direction u/s 31 (A) of the Air Act issued to the unit on 11.10.2010. Unit submitted Bank Guarantee on 02.12.2010. Temporary Revocation of closure directions u/s 31 (A) of the Air Act issued to the unit on 06.12.2010
	Ask the unit to confirm removal of cupola furnace from the premises on an affidavit.
	Ask the unit to confirm removal of cupola furnace from the premises on an affidavit.

	7
	35566  
	03-11-2010
	DELITE HI-TECH FURNITURE INDUSTRIES (P) LTD
	B-233A, PH-I, OKHLA INDUSTRIAL AREA
	Okhla Industrial Area
	Orange Establish
	MFG. OF STEEL AND WOODEN FURNITURE WITH POWDER COATING AND PAINTING.
	 
	10-11-2010 : EARLIER CMC DECISIONS 05.08.2010 Ask the unit to apply for consent to establish and fresh authorization under HWM Rules. DETAILS OF CASE Water Consumption :500 Lt/d Waste Water generation : (a) Domestic effluent: 400 Lt/d (b) Trade effluent: Nil Date of Commissioning: 1995 ETP : NA D.G.Set : 180 KVA G W : nil CTO issued valid upto 28.06.2007 vide CNO 11078. CTR applied on 26.06.2007 vide ID 22020. CTR applied on 25.06.2010 vide ID 34325. Authorization under HWM Rules applied on 03.11.2010 vide ID 0484. Letter was issued on 1709.2010
	Recommended for grant of consent to establish. Subsequently, inspection be conducted to check the trade effluent as the unit has mentioned the trade effluent in its earlier consent to operate.
	Issue consent to establish. Subsequently, inspection be conducted to check the trade effluent as the unit has mentioned the trade effluent in its earlier consent to operate.

	8
	35568  
	03-11-2010
	ASHOK GUPTA
	F-1896, DSIDC, NARELA INDUSTRIAL AREA
	Narela Industrial Area
	Orange Establish
	MFG. OF PLASTIC PRODUCTS.
	 
	21-12-2010 : ATR: Water Consumption : 150 ltr/day Waste Water generation : (a) Domestic effluent: 50 ltr/day (b) Trade effluent: NIL Date of Commissioning: Dec, 2010 ETP : N/A D.G.Set : NIL
	Recommended for grant of consent to establish.
	Issue consent to establish with the condition to provide hood & suction arrangement followed by a duct raised well above the roof levels (at least 2.0 meter above roof level) to channelize the process emissions. 

	9
	35569  
	03-11-2010
	SACHDEVA POLYCOLOR PVT. LTD.
	I-290, SECTOR-3, DSIDC BAWANA INDUSTRIAL AREA
	Bawana Industrial Area
	Orange Establish
	Mfg. of PVC Granules and Plastic Moulded Items.
	 
	07-12-2010 : Water Consumption : 220 lpd Waste Water generation : (a) Domestic effluent: 150 lpd (b) Trade effluent: Nil Date of Commissioning: April 2007 ETP : NA D.G.Set : Nil earlier decisions 23.03.2010 Ask the unit to apply for Consent to Establish 27.08.2010 Issue SCN for refusal of consent since unit has not applied for consent to establish.
	Recommended for grant of consent to establish.
	Issue consent to establish with the condition to provide hood & suction arrangement followed by a duct raised well above the roof levels (at least 2.0 meter above roof level) to channelize the process emissions. 

	10
	35580  
	04-11-2010
	SAHIB INDUSTRIES
	GI-109, MAYAPURI INDL. AREA,PH-II
	Mayapuri Industrial Area
	Orange Establish
	PLASTIC GRANUALS
	 
	08-12-2010 : ATR/Remarks Applied for CTO on 04.11.2010 videID no. 35581. Water Consumption : 0.2 KLD Waste Water generation : (a) Domestic effluent: 0.1 KLD (b) Trade effluent: NIL Date of Commissioning: 2010 ETP : NO D.G.Set : NIL
	Recommended for grant of consent to establish.
	Issue consent to establish with the condition to provide hood & suction arrangement followed by a duct raised well above the roof levels (at least 2.0 meter above roof level) to channelize the process emissions. 

	11
	35582  
	08-11-2010
	ANIL PLASTIC
	PLOT NO.-187, POCKET-M, SECTOR-5, DSIDC BAWANA INDUSTRIAL AREA
	Bawana Industrial Area
	Orange Establish
	Mfg. of PVC/Plastic Products---Compound and its Moulded goods.
	 
	08-12-2010 : Water Consumption :300 lpd Waste Water generation : (a) Domestic effluent: 250 lpd (b) Trade effluent: NIL Date of Commissioning:1-1-2011 ETP : NA D.G.Set : NIL
	Recommended for grant of consent to establish.
	Issue consent to establish with the condition to provide hood & suction arrangement followed by a duct raised well above the roof levels (at least 2.0 meter above roof level) to channelize the process emissions. 

	12
	35584  
	08-11-2010
	NEELKANTH INDUSTRIES
	B-57/4A, PHASE-I, MAYAPURI INDUSTRIAL AREA
	Mayapuri Industrial Area
	Orange Establish
	STAINLESS STEEL KITCHEN SINK
	 
	04-01-2011 : Earlier CMC Decision Decision on 05.08.2010 Ask the unit to apply for consent to establish. ATR/Remarks Water Consumption : 0.3 KLD Waste Water generation : (a) Domestic effluent: 0.2 KLD (b) Trade effluent: NIL Date of Commissioning:1998 ETP : NO D.G.Set : NO CTO Isued valid upto 25.07.2005 vide Consent order no 6917 under Orange category. CTE Issued valid upto 08.02.2010 vide Consent order no 19632 under Green category. Applied for CTO_R on 03.06.2005 vide ID no 28055 under Orange category. Applied for CTO_R on 31.05.2010 vide ID no 34039 under Orange category. Unit applied for renewal of authorization under HWM Rules on 07.09.2006 vide ID no 3548. Inspection conducted on 22.11.2010. During the inspection following were observed: 1.) Unit found operational & engaged in the activity of Stainless steel, kitchen sink & other kitchen items. 2.) Unit generating Hazardous Waste in the form of sludge from buffring activity. 3.) Buffring activity is carried out with proper channelization and ECS installed but did not work at the time of inspection. 4.) ECS found but in dismentle condition due to maintenance.
	Issue SCN u/s 31(A) of the Air Act and SCN for refusal of consent.
	Issue SCN u/s 31(A) of the Air Act and SCN for refusal of consent.

	13
	35585  
	08-11-2010
	SEKHRI BROTHERS
	B-57/4, PH-I, MAYAPURI INDUSTRIAL AREA
	Mayapuri Industrial Area
	Orange Establish
	STANLES STEEL KITCHEN SINK AND OTEHR KITCHEN ITEMS
	 
	04-01-2011 : ATR/Remarks Trade Eff: Nil D.G Set : 160 KVA, NMR submitted on 29.04.2010. Year of commencement: 1968 Plot Area:447sq. Yards. Ground Water:Nil Earlier CTO Issued valid upto 25.07.2005 vide consent order no. 6918 Applied for CTO_R on 03.06.2005 vide ID no. 14300. Applied for CTO_R on 31.05.2010 vide ID no. 34038. Unit applied for renewal of authorization under HWM rules on 07.09.2006 vide ID no 3547. Inspection conducted on 22.11.2010. During the inspection following were observed: 1.) Unit found operational & engaged in the activity of Stainless steel, kitchen sink & other kitchen items. 2.) Unit generating Hazardous Waste in the form of sludge from buffring activity. 3.) Buffring activity is carried out with proper channelization. 4.) Scrap generating which sell to the authorised person & bills showed at that time of inspection. 5.) ECS found but in dismentle condition due to maintenance. 6.) One D.G. set found installed with acoustic enclosure and proper stack height.
	Issue SCN u/s 31(A) of the Air Act and SCN for refusal of consent.
	Issue SCN u/s 31(A) of the Air Act and SCN for refusal of consent.

	14
	35586
	08-11-2010
	PREMIUM LABELS PVT. LTD.
	B-40
	LAWRENCE ROAD INDUSTRIAL AREA
	Orange Establish
	Printing Press (Printing of Labels)
	 
	Water Consumption :150 Lt/Day Waste Water generation : (a) Domestic effluent: 100 L/Day (b) Trade effluent: Nil Date of Commissioning: Jan, 2011. ETP : NA. D.G.Set : Nil. 
	Recommended for grant of consent to establish.
	Issue consent to establish.

	15
	35591  
	08-11-2010
	KAILASH CAP HOUSE
	PLOT NO.-238, POCKET-B, SECTOR-1, DSIDC BAWANA INDUSTRIAL AREA
	Bawana Industrial Area
	Orange Establish
	Plastic Products.
	 
	07-12-2010 : Water Consumption : 200 lpd Waste Water generation : (a) Domestic effluent: 150 lpd (b) Trade effluent: Nil Date of Commissioning: Dec 20010 ETP : NA D.G.Set : Nil
	Recommended for grant of consent to establish.
	Issue consent to establish with the condition to provide hood & suction arrangement followed by a duct raised well above the roof levels (at least 2.0 meter above roof level) to channelize the process emissions. 

	16
	35592  
	08-11-2010
	GEM PRODUCTS
	PLOT NO.-276, POCKET-E, SECTOR-4, DSIDC BAWANA INDUSTRIAL AREA
	Bawana Industrial Area
	Orange Establish
	Plastic Products.
	 
	07-12-2010 : Water Consumption : 200 lpd Waste Water generation : (a) Domestic effluent: 150 lpd (b) Trade effluent: Nil Date of Commissioning: Dec 20010 ETP : NA D.G.Set : Nil
	Recommended for grant of consent to establish.
	Issue consent to establish with the condition to provide hood & suction arrangement followed by a duct raised well above the roof levels (at least 2.0 meter above roof level) to channelize the process emissions. 

	17
	35593  
	08-11-2010
	SHIV SONS METAL INDUSTRIES
	PLOT NO.-159, POCKET-F, SECT-1, DSIDC BAWANA INDUSTRIAL AREA
	Bawana Industrial Area
	Orange Establish
	Wire Drawing Coating and Electric Cable.
	 
	07-12-2010 : Water Consumption : 200 lpd Waste Water generation : (a) Domestic effluent: 150 lpd (b) Trade effluent: Nil Date of Commissioning: Dec 2010 ETP : NA D.G.Set : Nil
	Recommended for grant of consent to establish with the stipulations of MPD-2021 regarding number of workers and plot area. 
	Issue consent to establish with the stipulations of MPD-2021 regarding number of workers and plot area. 

	18
	35594  
	08-11-2010
	SATYA BUILDWELL PVT. LTD
	K. NO 38/17,38/23/2, 38/24/2,38/25/1,40/4/1,40/4/2,40/5/1,40/5/1/2 VILLAGE SAMLKH
	WEST
	Orange Establish
	MOTEL
	 
	07-12-2010 : Water Consumption :82 KLD Waste Water generation : (a) Domestic effluent: 72 KLD (b) Trade effluent: NIL Date of Commissioning:Proposed Jan, 2011 ETP : no D.G.Set (Proposed) 380, 250 KVA
	Recommended for grant of consent to establish. Subsequently, inspection be conducted.
	Issue consent to establish. Subsequently, inspection be conducted.

	19
	35600  
	10-11-2010
	BOOST AUTOMOBILES INDIA PVT. LTD.
	PLOT NO.-220, POCKET-K, SECTOR-3, DSIDC BAWANA INDUSTRIAL AREA
	Bawana Industrial Area
	Orange Establish
	Auto Rubber Parts all kind of v. belts and Fan belts and Radiator hoses etc.
	 
	07-12-2010 : Water Consumption :1500 lpd(Ground Water) Waste Water generation : (a) Domestic effluent: 200 lpd (b) Trade effluent: NIL Date of Commissioning:Jan 2011 ETP : NA D.G.Set : NIL
	Recommended for grant of consent to establish. Subsequently, inspection be conducted.
	Issue consent to establish. Subsequently, inspection be conducted.

	20
	35604  
	11-11-2010
	SAMARA AUTO MAX (P) LTD.
	A-68, NARAINA INDUSTRIAL AREA
	Naraina Industrial Area Phase - I
	Orange Establish
	AUTOMOBILE CAR WORKSHOP
	 
	08-12-2010 : Details: Water Consumption :3.0 KLD Waste Water generation : (a) Domestic effluent: 0.5 KLD (b) Trade effluent: 2.5 KLD Date of Commissioning: Oct, 2010 ETP :no D.G.Set 62.5 KVA (Proposed)
	Recommended for grant of consent to establish. Subsequently, inspection be conducted.
	Issue consent to establish. Subsequently, inspection be conducted.

	21
	35606  
	11-11-2010
	UNIVERSAL COLOUR INDUSTRIES
	PLOT NO 2274, SECTOR-1, DSIDC, NARELA INDUSTRIAL AREA
	Narela Industrial Area
	Orange Establish
	MFG. OF ACRYLIC PAINTS (WITHOUT NITRO CELLULOSE PAINT).
	 
	21-12-2010 : ATR: Water Consumption : 100 ltr/day Waste Water generation : (a) Domestic effluent: 80 ltr/day (b) Trade effluent: NIL Date of Commissioning: Feb, 2011 ETP : N/A D.G.Set : NIL
	Recommended for grant of consent to establish without mfg of nitro cellulose and alkyd resin based paints.
	Issue consent to establish without mfg of nitro cellulose and alkyd resin based paints.

	22
	35607  
	11-11-2010
	MALHOTRA ENTERPRISES
	PLOT NO.-54, POCKET-C, SECTOR-3, DSIDC BAWANA INDUSTRIAL AREA
	Bawana Industrial Area
	Orange Establish
	Mfg. of Plastic Products.
	 
	08-12-2010 : Water Consumption :2000 lpd Waste Water generation : (a) Domestic effluent: 1000 lpd (b) Trade effluent: Nil Date of Commissioning: 15-12-2010 ETP : NA D.G.Set : Nil
	Recommended for grant of consent to establish.
	Issue consent to establish with the condition to provide hood & suction arrangement followed by a duct raised well above the roof levels (at least 2.0 meter above roof level) to channelize the process emissions. 

	23
	35608  
	12-11-2010
	DEEP HARSHI (ABS) MANUFACTURING COMPANY PVT. LTD.
	H-281, SEC-2, DSIDC BAWANA INDUSTRIAL AREA
	Bawana Industrial Area
	Orange Establish
	Mfg. of Plastic Dana.
	 
	07-12-2010 : Water Consumption : 200 lpd Waste Water generation : (a) Domestic effluent: 90 lpd (b) Trade effluent: Nil Date of Commissioning: 15 Nov 2010 ETP : NA D.G.Set : Nil
	Recommended for grant of consent to establish.
	Issue consent to establish with the condition to provide hood & suction arrangement followed by a duct raised well above the roof levels (at least 2.0 meter above roof level) to channelize the process emissions. 

	24
	35610  
	12-11-2010
	BEE PEE TECHNOLOGIES PVT. LTD.
	A-13/2 MAYAPURI INDUSTRIAL AREA PHASE-I
	Mayapuri Industrial Area
	Orange Establish
	ENGINEERING WORKS AND MFG OF AUTO AND ELECTRICAL PARTS WITH INJECTION MOULDING
	 
	08-12-2010 : Details: Water Consumption : 0.8 KLD Waste Water generation : (a) Domestic effluent: 0.250 KLD (b) Trade effluent: NIL Date of Commissioning: Expected 15th Dec. 2010 ETP : No. D.G.Set : Nil
	Recommended for grant of consent to establish.
	Issue consent to establish with the condition to provide hood & suction arrangement followed by a duct raised well above the roof levels (at least 2.0 meter above roof level) to channelize the process emissions. 

	25
	35618  
	12-11-2010
	MOHINI KITCHEN WARE (P) LTD.
	PLOT NO 4, PHASE-II, BADLI INDUSTRIAL ESTATE
	Badli Industrial Estate
	Orange Establish
	MFG. OF ALUMINUM UTENSIL (PRESSURE COOKERS).
	 
	21-12-2010 : ATR: Water Consumption : 0.32 Kilo ltr/day Waste Water generation : (a) Domestic effluent: 0.28 Kilo ltr/day (b) Trade effluent: NIL Date of Commissioning: Oct, 2010 ETP : N/A D.G.Set : NIL closure direction were issued to the unit in view of commonwealth games. Unit has submitted its rply alongwith an affidavit stating that ECS has been installed over buffing machines. Requested for revokation. approval for revokation accorded by chairman subject to submission of BG of rupees 1Lakh. File is under submission.
	Recommended for grant of consent to establish.
	Unit has submitted the requisite Bank Guarantee. Issue consent to establish.

	26
	35619  
	15-11-2010
	UMRAO HOTELS AND RESORTS PVT. LTD
	VILL SAMALIKA, NATIONAL HIGHGWAY NO 8, NEAR RAJOKRI CROSSING,
	SOUTH WEST
	Orange Establish
	HOTEL BAR AND RESTAURANT
	 
	07-12-2010 : ATR/Remarks Water Consumption :250 KLD Waste Water generation : (a) Domestic effluent: 14 KLD (b) Trade effluent: 55 KLD Date of Commissioning: April, 2011 ETP : no D.G.Set : 500 KVA , 380 KVA ( Proposed)
	Ask the unit to submit proper water mass balance chart in view of huge water consumption. Inspection may also be conducted. 
	Ask the unit to submit proper water mass balance chart in view of huge water consumption. Inspection may also be conducted. 

	27
	35620  
	15-11-2010
	GANESH STEELS
	PLOT NO. 32, POCKET-I SECTOR-5, DSIDC BAWANA INDUSTRIAL AREA
	Bawana Industrial Area
	Orange Establish
	Mfg. of Plastic Products and Sheet Metal Works.
	 
	08-12-2010 : Water Consumption :300 lpd Waste Water generation : (a) Domestic effluent: 250 lpd (b) Trade effluent: Nil Date of Commissioning:1-1-2011 ETP : NA D.G.Set : Nil
	Recommended for grant of consent to establish.
	Issue consent to establish with the condition to provide hood & suction arrangement followed by a duct raised well above the roof levels (at least 2.0 meter above roof level) to channelize the process emissions. 

	28
	35623  
	15-11-2010
	STERLING MOBIKES PVT. LTD.
	243, PHASE-III, OKHLA INDUSTRIAL ESTATE
	Okhla Industrial Estate
	Orange Establish
	SERVICING OF MOTOR BIKES WITH WASHING.
	 
	06-12-2010 : Water Consumption : 650 Lt/d Waste Water generation : (a) Domestic effluent: 320 Lt/d (b) Trade effluent: 200 Lt/d Date of Commissioning: Dec.2010 ETP : proposed D.G.Set : 45 KVA G W: nil As per application it is mentioned that the unit is the proposed unit and therefore no Hazardous waste generated.
	Recommended for grant of consent to establish. Subsequently, inspection be conducted.
	Issue consent to establish. Subsequently, inspection be conducted.

	29
	35633  
	15-11-2010
	M.S. STEEL
	A-66, GROUP (IIND AND IIIRD FLOOR), WAZIRPUR INDUSTRIAL AREA
	Wazirpur Industrial Area
	Orange Establish
	MANUFACTURING OF STAINLESS STEEL UTENSILS (WITH BUFFING).
	 
	21-12-2010 : ATR: Water Consumption : 0.05 Kilo ltr/day Waste Water generation : (a) Domestic effluent: 0.2 Kilo ltr/day (b) Trade effluent: NIL Date of Commissioning: 2009 ETP : N/A D.G.Set : 62.5 KVA with stack height of 3.5 mtr from the roof of the building As per decision by competent authority on 23.11.2010, SCN u/s 31(A) air act may issued.
	File be put up administratively w.r.t. SCN u/s 31(A) of the Air Act issued.
	File be put up administratively.

	30
	35635
	22-11-2010
	PASRICHA ART PRINTERS
	PLOT NO. 112, SECTOR-4, POCKET-D, DSIDC INDUSTRIAL COMPLEX BAWANA INDUSTRIAL AREA
	Bawana Industrial Area
	Orange Establish
	Offset Printing Press.
	 
	09-12-2010 : Water Consumption :100 lpd (ground water) Waste Water generation : (a) Domestic effluent: 50 lpd (b) Trade effluent: NIL Date of Commissioning: ETP : NA D.G.Set NIL:
	Recommended for grant of consent to establish.
	Issue consent to establish.

	31
	35645  
	16-11-2010
	A.K. ELECTRICALS
	PLOT NO.-195, SEC-1, POCKET-I, DSIDC BAWANA INDUSTRIAL AREA
	Bawana Industrial Area
	Orange Establish
	Mfg. of Plastic Products.
	 
	08-12-2010 : Water Consumption :1000lpd Waste Water generation : (a) Domestic effluent: 50 lpd (b) Trade effluent: Nil Date of Commissioning: 25-12-2010 ETP : NA D.G.Set : NIL
	Recommended for grant of consent to establish.
	Issue consent to establish with the condition to provide hood & suction arrangement followed by a duct raised well above the roof levels (at least 2.0 meter above roof level) to channelize the process emissions. 

	32
	35646  
	16-11-2010
	SYDNEY GRAND HOTELS PVT. LTD.
	KH. NO 6/6, 6/6 EAST, 6/7, 6/15, 6/14, 6/17, 6/18, 6/19, VILLAGE SINGHOLA, MAIN GT KARNAL ROAD
	NORTH WEST
	Orange Establish
	MOTEL ACTIVITY.
	 
	21-12-2010 : CMC decision: 13.08.2010 Issue SCN u/s 21/22 of the Air Act and u/s 25/26 of the water Act ATR: SCN u/s 21/22 and 25/26 was sent on 06.09.2010. Based on deficiencies observed during inspection on 29.10.2010, SCN for clousure u/s 33(A) & 31 (A) issued on 24.11.10 as approved by the Competent authority on file on 19.11.2010. No reply received in response to SCN. Inspection was done on 29.10.2010 and the following were observed:- 1. Motels (14 rooms) with party Lawn & banquet hall facility is operational. However, no function is going on. A Banner indicating Booking Open is provided at the main entrance of the motel. 2. Only underground RCC tank (Claimed for collection tank of STP) found installed. 3. D.G set found accoustically trated but stack height inadequate. 4. Rain water harvesting exist 03nos. 5. Borewell connection exist 3nos. Water Consumption : 25000 ltr/day Waste Water generation : (a) Domestic effluent: 8000 ltr/day (b) Trade effluent: 8000 ltr/day Date of Commissioning: Dec,2010 ETP : Not installed D.G.Set : 125 KVA with stack height of 3 mtr from roof.
	Ask the unit to submit the Bank Guarantee of Rs. 50,000 under Air Act and Water Act valid for one year and an affidavit that unit will not be operated without taking Air and Water pollution control measures in pursuance of the directions issued by DPCC. If unit submits the aforesaid documents, consent to establish be issued.
	Ask the unit to submit the Bank Guarantee of Rs. 50,000 each under Air Act and Water Act valid for one year and an affidavit that unit will not be operated without taking Air and Water pollution control measures in pursuance of the directions issued by DPCC. If unit submits the aforesaid documents, consent to establish be issued.

	33
	35649  
	16-11-2010
	JINDAL ENTERPRISES
	C-11, POCKET-D, SECTOR-1, DSIDC INDL. COMPLEX BAWANA INDUSTRIAL AREA
	Bawana Industrial Area
	Orange Establish
	Manufacturing of Plastic Products (packing materials)
	 
	08-12-2010 : Water Consumption :175 lpd Waste Water generation : (a) Domestic effluent: 75 lpd (b) Trade effluent: Nil Date of Commissioning:Dec 2010 ETP : NA D.G.Set : NIL
	Recommended for grant of consent to establish.
	Issue consent to establish with the condition to provide hood & suction arrangement followed by a duct raised well above the roof levels (at least 2.0 meter above roof level) to channelize the process emissions. 

	34
	35652  
	18-11-2010
	AHUJA FURNISHERS PVT LTD
	E-40/1, PHASE-II OKHLA INDUSTRIAL AREA
	Okhla Industrial Area
	Orange Establish
	MANUFACTURING OF WOODEN FURNITURE WITH PAINTING AND POLISHING.
	 
	22-11-2010 : EARLIER CMC DECISION 16.07.10 ( 66 th meeting) Ask the unit to apply for consent to establish under orange category due to paint booth. 07.10.10 (68 th meeting) Issue SCN for refusal of consent. DETAILS OF CASE Water Consumption : 1 Kl/d Waste Water generation : (a) Domestic effluent: 600Lt/d (b) Trade effluent: Nil Date of Commissioning: 1972 ETP : NA D.G.Set : Nil G W : nil CTO (Green) issued valid upto 09.11.2008 vide CNO 9226. CTE (Green) applied on 04.02.2010 vide ID 32658. CTR (Green) applied on 05.02.2010 with ID 32670.
	Ask the unit to submit Bank Guarantee of Rs. 50,000 under Air Act valid for one year in view of concealment of the facts regarding existence of the paint both. If unit submits the bank guarantee, consent to establish be issued. 
	Ask the unit to submit Bank Guarantee of Rs. 50,000 under Air Act valid for one year in view of concealment of the facts regarding existence of the paint both. If unit submits the bank guarantee, consent to establish be issued. 

	35
	35659  
	18-11-2010
	SHIVAM PLASTIC WORKS
	B-214, SECTOR-1, DSIDC BAWANA INDUSTRIAL AREA
	Bawana Industrial Area
	Orange Establish
	Plastic Dana
	 
	08-12-2010 : Water Consumption :250 lpd Waste Water generation : (a) Domestic effluent: 200 lpd (b) Trade effluent: Nil Date of Commissioning:2010 ETP : NA D.G.Set : NIl
	Recommended for grant of consent to establish. Subsequently, inspection be conducted to check the use of plastic scrap.
	Issue consent to establish with the condition to provide hood & suction arrangement followed by a duct raised well above the roof levels (at least 2.0 meter above roof level) to channelize the process emissions. Subsequently, inspection be conducted.

	36
	35663  
	18-11-2010
	LAMBA STEEL & ALLOYS PVT LTD
	D-7/2, 3, PHASE-I, OKHLA INDUSTRIAL AREA
	Okhla Industrial Area
	Orange Establish
	MANUFACTURING OF ALUMINUM INGOTS THROUGH MELTING FURNACE UNIT.
	 
	22-11-2010 : EARLIER CMC DECISION 131st Inspection be conducted to ascertain the type of furnace. 138th Issue SCN for refusal of consent and SCN for closure of the unit due to findings of the inspection including the prohibition of the activity as per MPD-2021. 13.08.10 Consent refused and issue closure directions. 25.11.10 Ask the unit to submit adequacy report from empanelled consultant and Bank Guarantee of Rs One Lakh under the Air Act valid for one year. If the unit submits the aforesaid documents, closure directions be revoked. DETAILS OF CASE Water Consumption : 110 Lt/d Waste Water generation : (a) Domestic effluent: 100 Lt/d (b) Trade effluent: nil Date of Commissioning: Dec 2010 ETP : NA D.G.Set : NIL G W : Nil CTE refused on 29.09.2010 with Refusal no 2028. SCN for refusal of consent and SCN for closure of the unit were issued to the unit on 17.06.10 No reply received Refusal of consent and Closure directions issued to the unit on 29.09.10 Reply against the SCN received on 04.10.10 stating that the unit has installed ECS (Photograph attached) , SMR attached and D G Set of 10 KVA sold out Reply against the Closure directions received on 02.11.1
	Decision deferred till clarification received from DDA.
	Decision deferred till clarification received from DDA.

	37
	35666  
	18-11-2010
	HEMANT PLASTIC UDYOG
	PLOT NO.-67, POCKET-N1, SEC-5, DSIDC BAWANA INDUSTRIAL AREA
	Bawana Industrial Area
	Orange Establish
	Manufacturing of PVC Coated Electric Wrie and Cables and electric wire twine work.
	 
	07-12-2010 : Water Consumption :100 lpd Waste Water generation : (a) Domestic effluent: 50 lpd (b) Trade effluent: Nil Date of Commissioning:Jan 2011 ETP : NA D.G.Set : Nil
	Recommended for grant of consent to establish with the stipulations of MPD-2021 regarding number of workers and plot area. 
	Issue consent to establish with the stipulations of MPD-2021 regarding number of workers and plot area. 

	38
	35667  
	18-11-2010
	SHUGANA ENTERPRISES
	PLOT NO.-39, POCKET-N, SECTOR-2, DSIDC BAWANA INDUSTRIAL AREA
	Bawana Industrial Area
	Orange Establish
	Manufacturing of Electric Wire and Cables.
	 
	07-12-2010 : Water Consumption :100 lpd Waste Water generation : (a) Domestic effluent: 50 lpd (b) Trade effluent: NIl Date of Commissioning: Jan 2011 ETP : NA D.G.Set : NIL
	Recommended for grant of consent to establish with the stipulations of MPD-2021 regarding number of workers and plot area. 
	Issue consent to establish with the stipulations of MPD-2021 regarding number of workers and plot area. 

	39
	35688  
	19-11-2010
	FORWARD MARKETING
	PLOT NO.-51, POCKET-A, SEC-2, DSIDC BAWANA INDUSTRIAL AREA
	Bawana Industrial Area
	Orange Establish
	Mfg. of PVC and XLPE Wires and Cables.
	 
	07-12-2010 : Water Consumption :1000lpd Waste Water generation : (a) Domestic effluent: 1000lpd (b) Trade effluent: Nil Date of Commissioning:15-12-2010 ETP : NA D.G.Set : Nil
	Recommended for grant of consent to establish with the stipulations of MPD-2021 regarding number of workers and plot area. 
	Issue consent to establish with the stipulations of MPD-2021 regarding number of workers and plot area. 

	40
	35693  
	22-11-2010
	MGF AUTOMOBILES LTD
	38/1/2 RAMA ROAD NAJAFGARH ROAD INDUSTRIAL AREA
	Najafgarh Road Industrial Area
	Orange Establish
	SERVICING WASHING OF CARS WASHING AND REPAIR OF FOUR WHEELERS
	 
	07-12-2010 : ATR/REMARKS Water Consumption :5.7 KLD Waste Water generation : (a) Domestic effluent: 0.500 KLD (b) Trade effluent: 4.500 KLD Date of Commissioning: Expected 15th Jan, 2011 ETP : no D.G.Set : 82.5 KVA (Proposed)
	Ask the unit to submit the proper details about the ETP and the existence of painting booth. Inspection may also be conducted. 
	Ask the unit to submit the proper details about the ETP and the existence of painting booth. Inspection may also be conducted. 

	41
	35696  
	22-11-2010
	KUMAR FOOD INDUSTRIES LTD.
	C-38, LAWRENCE ROAD INDUSTRIAL AREA
	Lawrence Road Industrial Area
	Orange Establish
	DALL MILL.
	 
	21-12-2010 : ATR: Water Consumption : 300 ltr/day Waste Water generation : (a) Domestic effluent: 150 ltr/day (b) Trade effluent: NIL Date of Commissioning: Dec,2010 ETP : N/A D.G.Set : 125 KVA with stack height of 3.5 mtr.
	Recommended for grant of consent to establish. Subsequently, inspection be conducted.
	Issue consent to establish. Subsequently, inspection be conducted.

	42
	35697  
	22-11-2010
	SANJAY WIRE INDUSTRIES
	PLOT NO.-M-4, POCKET-N, SECTOR-3, DSIDC BAWANA INDUSTRIAL AREA
	Bawana Industrial Area
	Orange Establish
	job work copper Wires Drawing, W/o Trade Effluent.
	 
	07-12-2010 : Water Consumption :200 300 lpd Waste Water generation : (a) Domestic effluent: 100 lpd (b) Trade effluent: Nil Date of Commissioning:Dec 2010 ETP : NA D.G.Set : Nil
	Recommended for grant of consent to establish.
	Issue consent to establish.

	43
	35698  
	22-11-2010
	BHARAT METAL
	PLOT NO.-160, POCKET-F, SECTOR-2, DSIDC BAWANA INDUSTRIAL AREA
	Bawana Industrial Area
	Orange Establish
	job work copper Wires Drawing, W/o Trade Effluent.
	 
	07-12-2010 : Water Consumption :500 lpd Waste Water generation : (a) Domestic effluent: 100 lpd (b) Trade effluent: Nil Date of Commissioning:Dec 2010 ETP : NA D.G.Set : Nil
	Recommended for grant of consent to establish.
	Issue consent to establish.

	44
	35700  
	22-11-2010
	VISHAL PRINTING PRESS
	PLOT NO 130, POCKET-H, SECTOR-4 DSIDC BAWANA INDUSTRIAL AREA
	Bawana Industrial Area
	Orange Establish
	Offset Printing Press.
	 
	07-12-2010 : Water Consumption : 100 lpd (Source MCD, Corporation Or Ground Water as per affidavit) Waste Water generation : (a) Domestic effluent: 50 lpd (b) Trade effluent: Nil Date of Commissioning: Dec 2010 ETP : Nil D.G.Set : Nil
	Recommended for grant of consent to establish.
	Issue consent to establish.

	45
	35701  
	22-11-2010
	JINDAL FARM HOUSE
	PALLA BAKHTAWARPUR ROAD, VILLAGE BAKOLI
	NORTH WEST
	Orange Establish
	FARM HOUSE (A PARTY LAWN).
	 
	21-12-2010 : CMC decision: 27.08.2010 Ask the concerned DC of MCD to confirm whether the farm house is being used for commercial purposes or not. Unit be directed to discontinue the use of borewell for disposal of waste water and confirm on an affidavit within 15 days, failing which, necessary action under the law will be taken. ATR: Reply received on 29.10.2010. As per the decision taken on 27.08.2010 letter is sent to te unit on 13.10.2010. Water Consumption : 5.3 Kilo ltr/day Waste Water generation : (a) Domestic effluent: 0.3 kilo ltr/day (b) Trade effluent: 5.0 kilo ltr/day Date of Commissioning: Jan, 2010 ETP : To be installed. D.G.Set : NIL
	Ask the unit to confirm on an affidavit that use of borewell has been discontinued for disposal of waste water. Further, unit be asked to submit the detail information about the proposed waste water treatment plant with the detail of proposed disposal of treated effluent. 
	Ask the unit to confirm on an affidavit that use of borewell has been discontinued for disposal of waste water. Further, unit be asked to submit the detail information about the proposed waste water treatment plant with the detail of proposed disposal of treated effluent. 

	46
	35708  
	22-11-2010
	MOHIT PLASTIC
	B-2584, DSIDC NARELA INDUSTRIAL AREA
	Narela Industrial Area
	Orange Establish
	MFG. OF PLASTIC DANA / COMPOUND.
	 
	21-12-2010 : ATR: Water Consumption : 0.05 Kilo ltr/day Waste Water generation : (a) Domestic effluent: 0.02 Kilo ltr/day (b) Trade effluent: NIL Date of Commissioning: 2009 ETP : N/A D.G.Set : NIL closure direction were issued to the unit . Unit has submitted its reply alongwith an affidavit stating that channelization/ ECS has been installed over extruder machines. File is under submission.
	Issue reminder for submission of the Bank Guarantee. If unit submits the requisite Bank Guarantee, closure directions be revoked as decided on file and consent to establish be issued. 
	Issue reminder for submission of the Bank Guarantee. If unit submits the requisite Bank Guarantee, closure directions be revoked as decided on file and consent to establish with the condition to provide hood & suction arrangement followed by a duct raised well above the roof levels (at least 2.0 meter above roof level) to channelize the process emissions be issued. 

	47
	35709  
	22-11-2010
	SHIV INDUSTRIES
	A-9, GROUP WAZIRPUR INDUSTRIAL AREA
	Wazirpur Industrial Area
	Orange Establish
	PRESSING MFG. OF UTENSILS WITH BUFFING.
	 
	20-12-2010 : ATR: Water Consumption : 0.05 Kilo ltr/day Waste Water generation : (a) Domestic effluent: 0.01 Kilo ltr/day (b) Trade effluent: NIL Date of Commissioning: Oct, 2010 ETP : N/A D.G.Set : NIL
	File be put up administratively in view of the complaint.
	File be put up administratively.

	48
	35714  
	22-11-2010
	DEVANSH WIRE AND CABLES PVT LTD
	PLOT NO A-10/13 JHILMIL INDUSTRIES AREA
	Jhilmil Industrial Area
	Orange Establish
	Mfg. of Wires and Cables and wire drawing.
	 
	07-12-2010 : Water Consumption :200 L/Day Waste Water generation : (a) Domestic effluent: 20 L/Day (b) Trade effluent: Nil Date of Commissioning:15.12.2010. ETP : No. D.G.Set : Nil G.W.: Nil
	Recommended for grant of consent to establish.
	Issue consent to establish  with the stipulations of MPD-2021 regarding number of workers and plot area. 

	49
	35719
	23-11-2010
	SHREE JEE ENTERPRISES
	B-3, PHASE-I
	BADLI INDUSTRIAL ESTATE
	Orange Establish
	Re-rolling of M.S. Flats, Round & Bars
	 
	Water Consumption :250 Lt/Day Waste Water generation : (a) Domestic effluent: 100 L/Day (b) Trade effluent: Nil Date of Commissioning: 2006. ETP : NA. D.G.Set : Nil. 
	Recommended for grant of consent to establish.
	Issue consent to establish with the condition that capacity shall be less than 25 MT/day.

	50
	35722  
	23-11-2010
	SANJEEVANI GRAINS PVT. LTD.
	PLOT NO 517, SECTOR-C, DSIDC NARELA INDUSTRIAL AREA
	Narela Industrial Area
	Orange Establish
	DALL MILL.
	 
	21-12-2010 : ATR: Water Consumption : 800 ltr/day Waste Water generation : (a) Domestic effluent: 150 ltr/day (b) Trade effluent: NIL Date of Commissioning: Feb, 2011 ETP : N/A D.G.Set : NIL
	Recommended for grant of consent to establish. Subsequently, inspection be conducted.
	Issue consent to establish. Subsequently, inspection be conducted.

	51
	35723  
	23-11-2010
	CHAMPION EL COM PVT. LTD
	PLOT NO. 66, SEC-2, POCKET-F DSIDC INDUSTRIAL COMPLEX, BAWANA INDUSTRIAL AREA
	Bawana Industrial Area
	Orange Establish
	Mfg. of PVC Wrie and Cables and Mfg. of Electronic Components (T.V. and Radio parts)
	 
	07-12-2010 : Water Consumption :200 lpd Waste Water generation : (a) Domestic effluent: 150 lpd (b) Trade effluent: Nil Date of Commissioning: Sept 2005 ETP : NA D.G.Set : 1 no., capacity 63 KVA, height 2m above roof.)
	Inspection be conducted in view of recent addition of the activity.
	Inspection be conducted in view of recent addition of the activity.

	52
	35725  
	24-11-2010
	PREMIER PLASTIC INDUSTRIES
	G-264, SECTOR-5,DSIDC BAWANA INDUSTRIAL AREA
	Bawana Industrial Area
	Orange Establish
	Mfg. of Plastic Products.
	 
	07-12-2010 : Water Consumption : 200 lpd Waste Water generation : (a) Domestic effluent: 150 lpd (b) Trade effluent: nil Date of Commissioning: 1st Jan ,2011 ETP : NA D.G.Set : Nil
	Recommended for grant of consent to establish.
	Issue consent to establish with the condition to provide hood & suction arrangement followed by a duct raised well above the roof levels (at least 2.0 meter above roof level) to channelize the process emissions. 

	53
	35726  
	24-11-2010
	MANOJ PLASTIC WORKS
	G-184, SECTOR-5, DSIDC BAWANA INDUSTRIAL AREA
	Bawana Industrial Area
	Orange Establish
	Manufacturing of Plastic Auto Parts.
	 
	07-12-2010 : Water Consumption : 200 lpd Waste Water generation : (a) Domestic effluent: 100 lpd (b) Trade effluent: Nil Date of Commissioning: March 2011 ETP : NA D.G.Set : NIL
	Recommended for grant of consent to establish.
	Issue consent to establish with the condition to provide hood & suction arrangement followed by a duct raised well above the roof levels (at least 2.0 meter above roof level) to channelize the process emissions. 

	54
	35727  
	24-11-2010
	SONIA JAIN
	K-49,SECTOR-2,DSIDC BAWANA INDUSTRIAL AREA
	Bawana Industrial Area
	Orange Establish
	Manufacturing of Plastic Product.
	 
	07-12-2010 : Water Consumption : 200 lpd Waste Water generation : (a) Domestic effluent: 100 lpd (b) Trade effluent: Nil Date of Commissioning: March 2011 ETP : NA D.G.Set : NIL
	Recommended for grant of consent to establish.
	Issue consent to establish with the condition to provide hood & suction arrangement followed by a duct raised well above the roof levels (at least 2.0 meter above roof level) to channelize the process emissions. 

	55
	35730  
	24-11-2010
	TWO BROTHER HOLDING LTD.
	A-6,GROUP WAZIRPUR INDUSTRIAL AREA
	Wazirpur Industrial Area
	Orange Establish
	BUFFING ON STAINLESS UTENSILS.
	 
	21-12-2010 : ATR: Water Consumption :0.05 Kilo ltr/day Waste Water generation : (a) Domestic effluent: 0.02 Kilo ltr/day (b) Trade effluent: NIL Date of Commissioning: 2009 ETP : N/A D.G.Set : NIL
	File be put up administratively in view of the complaint.
	File be put up administratively.

	56
	35735  
	25-11-2010
	EKTA INDUSTRIES
	H-16, SECTOR-1,DSIDC BAWANA INDUSTRIAL AREA
	Bawana Industrial Area
	Orange Establish
	mfg. of and Assembling of PVC/Plastic Moulded Products --- Footwear, chair, table, door and window, kitchenware items, almirah etc.
	 
	07-12-2010 : Water Consumption :300 lpd Waste Water generation : (a) Domestic effluent: 250 lpd (b) Trade effluent: NIL Date of Commissioning:15th Jan 2011 ETP : NA D.G.Set :NIL
	Recommended for grant of consent to establish. Subsequently, inspection be conducted.
	Issue consent to establish with the condition to provide hood & suction arrangement followed by a duct raised well above the roof levels (at least 2.0 meter above roof level) to channelize the process emissions. Subsequently, inspection be conducted.

	57
	35738  
	25-11-2010
	LAWRENCE COLD STORAGE
	C-20, LAWRENCE ROAD INDUSTRIAL AREA
	Lawrence Road Industrial Area
	Orange Establish
	MEAT PROCESSING AND COLD STORAGE.
	 
	21-12-2010 : CMC decision: 15.06.2009 ask the unit to full compliances ATR: Water Consumption : 2.26 Kilo ltr/day Waste Water generation : (a) Domestic effluent: 0.4 ltr/day (b) Trade effluent: 1.4 ltr/day Date of Commissioning: Dec, 2010 ETP : Proposed D.G.Set : 500 KVA reply received on 13 aug 2009
	Recommended for grant of consent to establish with the condition to take safety measures w.r.t. use of amonia as per MSIHC Rules, 1989.
	Issue consent to establish with the condition to take safety measures w.r.t. use of amonia as per MSIHC Rules, 1989.

	58
	35739  
	25-11-2010
	MAXIMUS FOODS PVT LTD
	PLOT NO C-20 LAWRENCE ROAD INDUSTRIAL AREA
	Lawrence Road Industrial Area
	Orange Establish
	MFG. OF ICE AND COLD STORAGE.
	 
	21-12-2010 : ATR: Water Consumption : 31 Kilo ltr/day Waste Water generation : (a) Domestic effluent: 0.5 Kilo ltr/day (b) Trade effluent: NIL Date of Commissioning: Dec, 2010 ETP : N/A D.G.Set : 325 KVA
	Recommended for grant of consent to establish with the condition to take safety measures w.r.t. use of amonia as per MSIHC Rules, 1989.
	Issue consent to establish with the condition to take safety measures w.r.t. use of amonia as per MSIHC Rules, 1989.

	59
	35743  
	25-11-2010
	EAGLE ENTERPRIESE
	PLOT NO 145, SECTOR-2 POCKET-A BAWANA INDUSTRIAL AREA
	Bawana Industrial Area
	Orange Establish
	Manufacturing of Injection Moulding goods.
	 
	07-12-2010 : Water Consumption :120 lpd(Break up of water use not equal)(GROUND WATER) Waste Water generation : (a) Domestic effluent:50 lpd (b) Trade effluent: Nil Date of Commissioning:DEC 2010 ETP : NA D.G.Set : 1 DG of Capacity 8KvA and stack height of 2m above roof.
	Recommended for grant of consent to establish.
	Issue consent to establish with the condition to provide hood & suction arrangement followed by a duct raised well above the roof levels (at least 2.0 meter above roof level) to channelize the process emissions. 

	60
	35744
	25-11-2010
	MAYANK PRINTERS
	PLOT NO 235, SECTOR-3, POCKET-I, DSIDC
	BAWANA INDUSTRIAL AREA
	Orange Establish
	Offset Printing 
	 
	Water Consumption : 100 lpd (Source MCD, Corporation Or Ground Water; as per affidavit)
Waste Water generation : 
(a) Domestic effluent: 50 lpd 
(b) Trade effluent: Nil
Date of Commissioning: Jan 2011
ETP :  NA
D.G.Set : Nil
	Recommended for grant of consent to establish without trade effluent discharge.
	Issue consent to establish without trade effluent discharge.

	61
	35754  
	26-11-2010
	BATHLA MOTELS LTD.
	KHASARA NO. 51/1MIN, 51/10 MIN,51/26 & 52/6 AT VILLAGE BAKOLI ALIPUR MAIL G. T. KARNAL ROAD
	NORTH WEST
	Orange Establish
	MOTEL AND FARM HOUSE.
	 
	20-12-2010 : CMC decision: 10.11.2010 As per the decisin taken by Competent Authority closure directions and directions of refusal alredy issued to the unit on 22.11.2010. 05.08.2010 Ask the unit to submit adequacy report and effluent analysis report of ETP from approved consultant / laboratory of DPCC by 25.08.2010 without waiting for minutes. ATR: Based on inspection dated 29.10.2010, closure direction has been issued on 22.11.2010.Reply recieved along with affidavit stating that STP has been installed, Applied for adequecy report to DTU.Further requested for revocation. File put up adminstratively Inspection was done on 29.10.2010 and the following were observed:- 1. Motel is operating. However no function ws going on. 2. No STP/ETP installed. Waste water collection tanks (2 nos). exist and when full of waste water then it empties through tankers & discharge into adjoining agriculture fields. No documentry evidence shown. 3. Loundary waste water also discharges (one washing machine exist at roof). 4. Kitchen emission not channelised. 5. D.G set of 250 KVA and 83 KVA found 
without accoustic stack height inadequate of all the D.g sets. Water Consumption : 20.0 Kilo ltr/day 
Waste Water generation : (a) Domestic effluent: 5.0 Kilo ltr/day (b) Trade effluent: 10.0 kil ltr/day 
Date of Commissioning: Jan, 2009 ETP/STP : installed D.G.Set : 2 x 200 KVA
	Unit has submitted bank guarantee and thereafter closure direcitons have been revoked.  Recommended for grant of consent to establish. Ask the unit to apply for consent to operate within 30 days and file be put up administratively if the unit fails to apply for consent to operate. 
	Issue consent to establish. Ask the unit to apply for consent to operate within 30 days and file be put up administratively if the unit fails to apply for consent to operate. 

	62
	35755  
	26-11-2010
	MARUTI UTENSILS
	B-36 GROUP,IST&IIND FLOOR WAZIRPUR INDUSTRIAL AREA
	Wazirpur Industrial Area
	Orange Establish
	MFG. OF UTENSILS WITH BUFFING.
	 
	21-12-2010 : ATR: Water Consumption : 0.05 Kilo ltr/day Waste Water generation : (a) Domestic effluent: 0.01 Kilo ltr/day (b) Trade effluent: NIL Date of Commissioning: Sep,2010 ETP : N/A D.G.Set : NIL
	Recommended for grant of consent to establish. Subsequently, inspection be conducted.
	Issue consent to establish. Subsequently, inspection be conducted.

	63
	35756  
	26-11-2010
	BANTEX CABLE INDUSTIRAL
	PLOT NO 133,POCKET-E,SECTOR-1 DISDC BAWANA INDUSTRIAL AREA
	Bawana Industrial Area
	Orange Establish
	Mfg. of PVC Compound and Wire and Cable with Wire Drawing (Electrical Goods)
	 
	07-12-2010 : Water Consumption :300 lpd Waste Water generation : (a) Domestic effluent: 250 lpd (b) Trade effluent: NIL Date of Commissioning:1st Feb 2011 ETP : NA D.G.Set : NIL
	Recommended for grant of consent to establish.
	Issue consent to establish  with the stipulations of MPD-2021 regarding number of workers and plot area. 

	64
	35757  
	26-11-2010
	VICKY POWER TOOLS
	PLOT NO 241,POCKET-J,SECTOR-2 DISDC BAWANA INDUSTRIAL AREA
	Bawana Industrial Area
	Orange Establish
	Mfg. of Electric Motor And Parts
	 
	07-12-2010 : Water Consumption :200 lpd Waste Water generation : (a) Domestic effluent: 160 lpd (b) Trade effluent: Nil Date of Commissioning: 15.01.2011 ETP : NA D.G.Set : Nil
	Recommended for grant of consent to establish.
	Issue consent to establish.

	65
	35759  
	26-11-2010
	SHRI GANESH WINDING WIRE
	1/424/37,GALI NO IB FRIENDS COLONY INDUSTRIAL AREA
	Friends Colony Industrial Area
	Orange Establish
	Job work of Supper Enamel Paint on Aluminum Wire Unit.
	 
	07-12-2010 : Water Consumption :100 L/D Waste Water generation : (a) Domestic effluent: 100 L/D (b) Trade effluent: Nil Date of Commissioning:Dec 2010. ETP : NA D.G.Set : Nil (as per application). closure direction were issued to the unit wrt CWG. CTO not yet applied. G.W.: Nil
	Ask the unit to submit an affidavit w.r.t. the rectification of the deficiencies regarding hazardous waste management and a Bank Guarantee of Rs. One Lakh each under Air Act and HWM Rules valid for one year. If unit submits the aforesaid documents, closure directions be revoked and consent to establish be issued.
	Ask the unit to submit an affidavit w.r.t. the rectification of the deficiencies regarding hazardous waste management and a Bank Guarantee of Rs. One Lakh each under Air Act and HWM Rules valid for one year. If unit submits the aforesaid documents, closure directions be revoked and consent to establish be issued.

	66
	35761  
	26-11-2010
	DEV MATTEL INDUSTRIAL
	1/424/63,GALI NO IB FRIENDS COLONY INDUSTRIAL AREA
	Friends Colony Industrial Area
	Orange Establish
	Job work of Supper Enamel Paint on Aluminum Wire Unit.
	 
	07-12-2010 : Water Consumption :200 L/D Waste Water generation : (a) Domestic effluent: 200 L/D(AS PER AFFIDAVIT) (b) Trade effluent: Nil Date of Commissioning:Dec 2010. ETP : NA D.G.Set : 40 (as per application) closure direction were issued to the unit wrt CWG on 20.10.2010. Reply received on 29.11.2010. CTO not yet applied. Two DG sets of 62.5 kVA without A/E were found. G.W.: Nil
	Ask the unit to submit an affidavit w.r.t. the rectification of the deficiencies regarding hazardous waste management and acosutic enclosure with two D.G. Sets and a Bank Guarantee of Rs. One Lakh each under Air Act and HWM Rules valid for one year. If unit submits the aforesaid documents, closure directions be revoked and consent to establish be issued.
	Ask the unit to submit an affidavit w.r.t. the rectification of the deficiencies regarding hazardous waste management and acosutic enclosure with two D.G. Sets and a Bank Guarantee of Rs. One Lakh each under Air Act and HWM Rules valid for one year. If unit submits the aforesaid documents, closure directions be revoked and consent to establish be issued.

	67
	35763  
	29-11-2010
	MADAN PLASTIC WORKS
	K-91, SECTOR-5, DSIDC BAWANA INDUSTRIAL AREA
	Bawana Industrial Area
	Orange Establish
	Plastic Products and Plastic Moulds.
	 
	07-12-2010 : Water Consumption :20 lpd Waste Water generation : (a) Domestic effluent: 200 lpd (b) Trade effluent: NIL Date of Commissioning: 5-1-2004 ETP : NA D.G.Set : NIL
	Recommended for grant of consent to establish.
	Issue consent to establish with the condition to provide hood & suction arrangement followed by a duct raised well above the roof levels (at least 2.0 meter above roof level) to channelize the process emissions. 

	68
	35766  
	29-11-2010
	PUSHPAK PRESS
	203-204 PHASE-1 OKHLA INDUSTRIAL AREA
	Okhla Industrial Area
	Orange Establish
	offset printing with washing.
	 
	06-12-2010 : Water Consumption : 800 Lt/d Waste Water generation : (a) Domestic effluent: 400 Lt/d (b) Trade effluent: 300 Lt/d Date of Commissioning: pril 2009 ETP : Proposed D.G.Set : 62.50 KVA Authorization under HWM Rules applied on 29.11.2010 with ID 0517. A public complaint was received , accordingly, Unit was inspected on 27.10.10 and following were observed: 1. The unit is engaged in Offset Printing including plate making. 2. No ETP has been installed to treat the trade effluent generated from the process. However, some units of ETP i.e. collection cum reaction tank, filter etc are lying at roof top in defunct condition. 3. Adequate stack height has not been provided with the D.G.Set of 62.5 KVA. 4. Presently, trade effluent is being discharged without any treatment. 5. The unit is not complying with the provisions of HWM Rules. The case was taken up adminstratively , and it was decided to issue SCN for closure u/s 31(A) of Air Act and 33(A) of Water Act to the unit .Accordingly, SCN dated 16.11.2010 was issued to the unit Unit submitted its reply on 02.12.2010 along with the photos of ETP.
	Recommended for grant of consent to establish, if unit comply with the directions issued vide letter dated 20.01.2011.
	Issue consent to establish, if unit comply with the directions issued vide letter dated 20.01.2011.

	69
	35767  
	29-11-2010
	SHREE MAAKHAN(A UNIT OF AFP MFG CO.PVT.LTD)
	A-1/22,NAJAFGARH ROAD,JANAKPURI NC-W
	WEST
	Orange Establish
	RESTAURANT
	 
	08-12-2010 : ATR/Remarks: Water Consumption :18 KLD Waste Water generation : (a) Domestic effluent: 1 KLD (b) Trade effluent: 17KLD Date of Commissioning:Dec. 2010 ETP : No D.G.Set :125 KVA (Proposed)
	Ask the unit to submit valid MCD licence and inspection may also be conducted.
	Ask the unit to submit valid MCD licence and inspection may also be conducted.

	70
	35768  
	29-11-2010
	CAB COND (INDIA)
	PLOT NO J-43 SECTOR-5, DSIDC BAWANA INDUSTRIAL AREA
	Bawana Industrial Area
	Orange Establish
	Manufacturing of Wire and Cables.
	 
	07-12-2010 : Water Consumption :150lpd Waste Water generation : (a) Domestic effluent: 120 lpd (b) Trade effluent: NIL Date of Commissioning:Dec 2010 ETP : NA D.G.Set : NIL
	Recommended for grant of consent to establish with the stipulations of MPD-2021 regarding number of workers and plot area. 
	Issue consent to establish with the stipulations of MPD-2021 regarding number of workers and plot area. 

	71
	35769  
	29-11-2010
	J.J. PLASTIC UDYOG
	PLOT NO F-128,SECTOR-1,DSIDC BAWNA INDUSTRIAL AREA
	Bawana Industrial Area
	Orange Establish
	fresh PVC granules compound.
	 
	07-12-2010 : Water Consumption :100 lpd Waste Water generation : (a) Domestic effluent: 80 lpd (b) Trade effluent: Nil Date of Commissioning:Dec 2010 ETP : NA D.G.Set : Nil
	Recommended for grant of consent to establish.
	Issue consent to establish with the condition to provide hood & suction arrangement followed by a duct raised well above the roof levels (at least 2.0 meter above roof level) to channelize the process emissions. 

	72
	35770  
	29-11-2010
	GANESH ENGINEERING WORKS
	PLOT NO N-84,SECTOR-5,DSIDC BAWANA INDUSTRIAL AREA
	Bawana Industrial Area
	Orange Establish
	Cosmetics and Perfumery.
	 
	07-12-2010 : Water Consumption :100 lpd Waste Water generation : (a) Domestic effluent: 80 lpd (b) Trade effluent: NIL Date of Commissioning: DEC 2010 ETP : NA D.G.Set : NIL
	Recommended for grant of consent to establish. Subsequently, inspection be conducted.
	Issue consent to establish.

	73
	35771  
	29-11-2010
	MAYA PLASTIC PRODUCTS
	PLOT NO246,POCKET-G,SECTOR-5 DSIDC BAWANA INDUSTRIAL AREA
	Bawana Industrial Area
	Orange Establish
	Manufacturing of PVC Compound/Granules.
	 
	08-12-2010 : Water Consumption :100 lpd (Ground Water) Waste Water generation : (a) Domestic effluent: 50 lpd (b) Trade effluent: NIL Date of Commissioning:Jan 2011 ETP : NA D.G.Set : NIL
	Recommended for grant of consent to establish.
	Issue consent to establish with the condition to provide hood & suction arrangement followed by a duct raised well above the roof levels (at least 2.0 meter above roof level) to channelize the process emissions. 

	74
	35772  
	29-11-2010
	ANGOORI DEVI PVC PRODUCTS
	PLOT NO 93,POCKET-O SECTOR-3 DSIDC BAWANA INDUSTRIAL AREA
	Bawana Industrial Area
	Orange Establish
	Manufacturing of PVC Compound/Granules.
	 
	08-12-2010 : Water Consumption :100 lpd Waste Water generation : (a) Domestic effluent: 50 lpd (b) Trade effluent: nil Date of Commissioning:Jan 2011 ETP : NA D.G.Set : NIL
	Recommended for grant of consent to establish.
	Issue consent to establish with the condition to provide hood & suction arrangement followed by a duct raised well above the roof levels (at least 2.0 meter above roof level) to channelize the process emissions. 

	75
	35773  
	29-11-2010
	GOLDEN INDUSTRIES
	N-242,SECTOR-1,DSIDC BAWANA INDUSTRIAL AREA
	Bawana Industrial Area
	Orange Establish
	Mfg. of Paints and varnishes.
	 
	07-12-2010 : Water Consumption :300 lpd(Ground Water) Waste Water generation : (a) Domestic effluent: 250 lpd (b) Trade effluent: NIL Date of Commissioning: May 2010 ETP : NA D.G.Set : NIL
	Recommended for grant of consent to establish without mfg of nitro cellulose and alkyd resin based paints.
	Issue consent to establish without mfg of nitro cellulose and alkyd resin based paints.

	76
	35775  
	29-11-2010
	MANJEET PRINTERS
	J-115,SECTOR-1,DSIDC BAWAN INDUSTRIAL AREA
	Bawana Industrial Area
	Orange Establish
	Mfg. of PVC Compound.
	 
	07-12-2010 : Water Consumption :250 lpd(ground water) Waste Water generation : (a) Domestic effluent: 150 lpd (b) Trade effluent: Nil Date of Commissioning:Oct 2010 ETP : NA D.G.Set : Nil
	Recommended for grant of consent to establish.
	Issue consent to establish with the condition to provide hood & suction arrangement followed by a duct raised well above the roof levels (at least 2.0 meter above roof level) to channelize the process emissions. 

	77
	35782  
	30-11-2010
	SHRI SAAWARIYA PRODUCTS
	A-113.FIRST FLOOR,PHASE-II MANGOLPURI INDUSTRIAL AREA
	Mangolpuri Industrial Area
	Orange Establish
	MFG. OF PVC FOOTWEAR.
	 
	21-12-2010 : ATR: Water Consumption : 250 ltr/day Waste Water generation : (a) Domestic effluent: 200 ltr/day (b) Trade effluent: NIL Date of Commissioning: 01.01.2011 ETP : N/A D.G.Set : NIL SCN for closure u/s 31(A) issued on 01.11.2010 through the file of M/s wembley tape manufacturing. No reply received.
	Ask the unit to submit Bank Guarantee of Rs. 50,000 under Air Act valid for one year. If unit submits the bank guarantee, consent to establish be issued. 
	Ask the unit to submit Bank Guarantee of Rs. 50,000 under Air Act valid for one year. If unit submits the bank guarantee, consent to establish be issued. 

	78
	35783  
	30-11-2010
	PRAKASH BROTHERS
	A-11 DSIDC ENGG. COMPLEX, PHASE-1 MAGOLPURI INDUSTRIAL AREA
	Mangolpuri Industrial Area
	Orange Establish
	MFG. OF PVC AND RUBBER PRODUCTS.
	 
	21-12-2010 : ATR: Water Consumption : 250 ltr/day Waste Water generation : (a) Domestic effluent: 200 ltr/day (b) Trade effluent: NIL Date of Commissioning: 01.01.2011 ETP : N/A D.G.Set : NIL
	Recommended for grant of consent to establish.
	Issue consent to establish with the condition to provide hood & suction arrangement followed by a duct raised well above the roof levels (at least 2.0 meter above roof level) to channelize the process emissions. 

	79
	35784  
	30-11-2010
	RAJDHANI POLYMERS
	A-113,PHASE-II MANGOLPURI INDUSTRIAL AREA
	Mangolpuri Industrial Area
	Orange Establish
	MFG. OF EVA COMPOUND.
	 
	21-12-2010 : ATR: Water Consumption : 250 ltr/day Waste Water generation : (a) Domestic effluent: 200 ltr/day (b) Trade effluent: NIL Date of Commissioning: 2010 ETP : N/A D.G.Set : NIL SCN for closure u/s 31(A) issued on 01.11.2010 through the file of M/s wembley tape manufacturing. No reply received.
	Ask the unit to submit Bank Guarantee of Rs. 50,000 under Air Act valid for one year. If unit submits the bank guarantee, consent to establish be issued. 
	Ask the unit to submit Bank Guarantee of Rs. 50,000 under Air Act valid for one year. If unit submits the bank guarantee, consent to establish with the condition to provide hood & suction arrangement followed by a duct raised well above the roof levels (at least 2.0 meter above roof level) to channelize the process emissions be issued. 

	80
	35785  
	30-11-2010
	INDIAN SAFE FACTORY
	B-48, PHASE-I, MAYAPURI INDUSTRIAL AREA
	Mayapuri Industrial Area
	Orange Establish
	MFG OF STEEL AND WOODEN FURNITURE WITH PAINTING
	 
	08-12-2010 : Earlier CMC Decision: Decision on 23.06.2010 Ask the unit to apply for consent under Orange category in view of Hazardous waste generating activity of painting. Decision on 07.10.2010 Issue SCN for refusal of Consent. ATR/Remarks: Letter issued to the unit on 22.11.2010 CTO_R Issued valid upto 13.03.2010 vide consent no. 12700 under Green category. Unit applied for CTO_R on 18.02.2005 vide ID no 12687. Unit applied for CTO_R under Green category on 13.03.2010 vide ID no 33122. Unit is also apply for Consent to Operate on 30.11.2010 vide ID no 35786. UNit is also apply for fresh authorization under HWM Rules on 30.11.2010. Water Consumption :150 LPD Waste Water generation : (a) Domestic effluent: 100 LPD (b) Trade effluent: NIL Date of Commissioning:1970 ETP : no D.G.Set : Nil
	Recommended for grant of consent to establish.
	Issue consent to establish with the condition to provide channelization for the painting process with a ducting of atleast 2.0 meter height above roof level. 

	81
	35788  
	30-11-2010
	ROSHAN LAL
	PLOT NO.-13, POCKET-B, SECTOR-5, DSIDC BAWANA INDUSTRIAL AREA
	Bawana Industrial Area
	Orange Establish
	Copper Wire.
	 
	07-12-2010 : Water Consumption : 100 lpd Waste Water generation : (a) Domestic effluent: 50 lpd (b) Trade effluent: NIL Date of Commissioning:Jan 2011 ETP : NA D.G.Set : NIL
	Inspection be conducted. 
	Inspection be conducted. 

	82
	35790  
	30-11-2010
	HARI OM PLASTIC
	PLOT NO.-124, POCKET-E, SECTOR-3, DSIDC BAWANA INDUSTRIAL AREA
	Bawana Industrial Area
	Orange Establish
	PVC Compound and moulded goods.
	 
	07-12-2010 : Water Consumption :200 lpd Waste Water generation : (a) Domestic effluent: 150 lpd (b) Trade effluent: NIL Date of Commissioning:Jan 2011 ETP : NA D.G.Set : NIL
	Recommended for grant of consent to establish.
	Issue consent to establish with the condition to provide hood & suction arrangement followed by a duct raised well above the roof levels (at least 2.0 meter above roof level) to channelize the process emissions. 


	S. No.
	Enquiry Counter I.D. No
	Application Date
	Industry Name
	Industry Address
	Industrial Area
	Category
	Activitiy / Product
	Remarks / Action Taken / ATR
	Recommendations of Scrutinizing Committee on 31.01.2011 / 01.02.2011
	Decision recommended by CMC(Orange) on 14.02.2011

	1
	35535  
	01-11-2010
	BISHAMBHER DYAL AGGARWAL
	PLOT NO. 759, SEC-E, NARELA INDUSTRIAL AREA
	Narela Industrial Area
	Orange Operate
	MFG. OF PLASTIC PELLETS AND MOULDED GOODS.
	20-12-2010 : CMC decision: 26.03.2003 CTE grant Details of case: CTE : Valid upto 05.04.2003 Water Consumption : 150 ltr/day Waste Water generation : (a) Domestic effluent: 50 ltr/day (b) Trade effluent: NIL Date of Commissioning: Nov,2009 ETP : N/A Test Report (Water) within limit : Not submitted Test Report (Air) within limit : N/A NMR submitted :N/A ATR: CTE applied on 01.11.2010.
	Recommended for grant of consent to operate with the condition to provide hood & suction arrangement followed by a duct raised well above the roof levels (at least 2.0 meter above roof level) to channelize the process emissions within 06 months. 
	Inspection be conducted.

	2
	35536  
	01-11-2010
	KOHLI POLISHING WORK
	F-10, PH-II, MAYAPURI INDUSTRIAL AREA
	Mayapuri Industrial Area
	Orange Renewal
	JOB WORK OF ELECTROPLATING
	21-12-2010 : Earlier CMC Decision: Decision on 07.05.2010 Issue Consent to Establish. Ask the unit to apply for fresh Authorization under HWM Rules. ATR/Remarks: CTO Issued valid upto 31.07.2004 for the activity of Chrome plating. Applied for CTO_R on 20.08.2007 vide ID no 23183. CTO_R Issued valid upto 26.08.2007 vide cosent order no. 14899. Applied for renewal of authorization under HWM Rules on 01.11.2010 vide ID no 0475. A complaint received on 22.11.2010. accordingly inspection conducted on 24.11.2010. during the inspection follwoing were observed 1) ETP was not found in working condition/ operational. no wet sludge found at site. 2) no proper channelisation found for the dispersion of the fumes generated by the electroplating activity. show cause notice u/s 33(A) of the water act & 31(A) of the air act issued to the unit on 07.12.2010 regarding fimdings of inspections. unit submitted its point wise reply on 24.12.2010 and statd that 1) ETP is in working condition/ operational and well maintined. 2) HW stored as per direction of DPCC.3) fee slip fo waste water testing from GGSIP 
university enclosed with the reply. 4) proper channelisation with  proper stack height as per 
norms installed and their is no fumes generation by process. CTE : Not applied Water 
Consumption : 0.1 KLD Waste Water generation : (a) Domestic effluent: 0.05 KLD (b) Trade 
effluent: 0.2 KLD Date of Commissioning: 1979 ETP : Yes, Adequacy report submitted 
Test Report (Water) within limit : Yes Test Report (Air) within limit : N/A NMR submitted : N/A
	Ask the unit to submit the fresh effluent analysis report from approved laboratory of DPCC and monitoring report for the HCL, H2SO4 acid mist in the duct of the channelization provided for the process emissions. Also ask the unit to submit Bank Guarantee of Rs. 50,000 each under Air Act and Water Act valid for one year. 
	Ask the unit to submit the fresh effluent analysis report from approved laboratory of DPCC and monitoring report for the HCL, H2SO4 acid mist in the duct of the channelization provided for the process emissions. Also ask the unit to submit Bank Guarantee of Rs. 50,000 each under Air Act and Water Act valid for one year. 

	3
	35537  
	01-11-2010
	KANTI KAPUR PVT. LTD.
	A-143, GULAB HOUSE, PHASE-II, MAYAPURI INDUSTRIAL AREA
	Mayapuri Industrial Area
	Orange Operate
	OFFSET PRINTING PRESS
	08-12-2010 : Earlier CMC Decision Decision on 07.05.2010 Issue Consent to Establish. Ask the unit to apply for fresh Authorization under HWM Rules. ATR/Remarks Letter issued to the unit on 11.01.2010. CTO Issued valid upto 14.03.2005 vide consent order no 751. Unit is also apply for Renewal of Authorization under HWM Rules on 01.11.2010 CTO_R Ccncelled on 08.12.2008 under Green category.
	Recommended for grant of consent to operate and authorization under HWM Rules.
	Issue consent to operate and authorization under HWM Rules.

	4
	35538  
	01-11-2010
	V.T.C. FILTER PAPER
	PLOT NO.-161, POCKET-F, SECT-2, DSIDC INDUSTRIAL AREA BAWANA
	Bawana Industrial Area
	Orange Operate
	Mfg. of Plastic Granules.
	08-12-2010 : CTE : YES valid from 19.11.2009 to 18.11.2010 Water Consumption : 100 lpd Waste Water generation : (a) Domestic effluent: 50 lpd (b) Trade effluent: Nil Date of Commissioning: Oct 2009 ETP : NA Test Report (Water) within limit : NA Test Report (Air) within limit : NA NMR submitted : NA
	Recommended for grant of consent to operate with the condition to provide hood & suction arrangement followed by a duct raised well above the roof levels (at least 2.0 meter above roof level) to channelize the process emissions within 06 months and thereafter surprise inspection be conducted within 3 months to check the use of waste plastic.
	Issue consent to operate with the condition to provide hood & suction arrangement followed by a duct raised well above the roof levels (at least 2.0 meter above roof level) to channelize the process emissions and submit an compliance report on an affidavit within 06 months and thereafter surprise inspection be conducted within 3 months to check the use of waste plastic.

	5
	35539  
	01-11-2010
	JAI SHREE KRISHNA FILLING STATION
	BIJWASAN ROAD ,DINDARPUR,NAJAFGARH
	Najafgarh Road Industrial Area
	Orange Operate
	PERROL PUMP AND SERVICE STATION
	08-12-2010 : Earlier CMC Decision: Decision on 05.08.2010 Issued consent to establish. Subsquently, inspection be conducted. Details: CTE : issued valid upto 07.09.2011 vide consent order no 25477. Water Consumption :3.20 KLD Waste Water generation : (a) Domestic effluent: 0.15 KLD (b) Trade effluent: 2.80 KLD Date of Commissioning:June, 2010 ETP : yes, adequacy report submitted Test Report (Water) within limit :Yes Test Report (Air) within limit : N/A NMR submitted : N/A (No D.G.. Set) GW: 3200 LPD (Mineral water also) ATR/Remarks: Applied for fresh authorization under HWM Rules on 01.11.2010 on 0479.
	Inspection be expedited. Inform to DJB regarding ground water extraction. 
	Inspection be expedited. Inform to DJB regarding ground water extraction. 

	6
	35540  
	01-11-2010
	R.K. INDUSTRIES
	PLOT NO.-131, POCKET-A, SECTOR-5, DSIDC BAWANA INDUSTRIAL AREA
	Bawana Industrial Area
	Orange Operate
	Mfg. of PVC/Plastic Products.
	08-12-2010 : CTE : YES valid from 07.10.2010 to 6.10.2011. Water Consumption : 250 lpd Waste Water generation : (a) Domestic effluent: 200 lpd (b) Trade effluent: Nil Date of Commissioning: Sept, 2010 ETP : NA Test Report (Water) within limit : NA Test Report (Air) within limit : NA NMR submitted : NA
	Recommended for grant of consent to operate with the condition to provide hood & suction arrangement followed by a duct raised well above the roof levels (at least 2.0 meter above roof level) to channelize the process emissions within 06 months. 
	Issue consent to operate with the condition to provide hood & suction arrangement followed by a duct raised well above the roof levels (at least 2.0 meter above roof level) to channelize the process emissions and submit an compliance report on an affidavit within 06 months.

	7
	35541  
	01-11-2010
	DEVI MAA HOSPITALITIES
	31 & 32, DEFENCE COLONY MARKET
	SOUTH
	Orange Operate
	RESTAURANT AND BARS FOR 98 SEATS.
	11-11-2010 : EARLIER CMC DECISIONS 06.09.10 Issue consent to establish. Subsequently, inspection be conducted. DETAILS OF THE CASE CTE : Issued on 20.10.10 vide CNO 25781 Water Consumption : 5KLD Waste Water generation : (a) Domestic effluent: 1.5 KLD (b) Trade effluent: 2.5 KLD Date of Commissioning: OCT 2009 ETP : YES Test Report (Water) within limit : Yes Test Report (Air) within limit : NA NMR submitted : yes, dated 20.09.10 G W : Nil ATR/REMARKS 1. Seating capacity- 98 seats, MCD licence & Police licence submittted. 2. DG Set: 62.5 KVA 3. Adequacy dated October 2010 and Test report dated 27.09.10 submitted.
	Issue SCN for refusal of consent in view of the deficiencies found during the inspection. 
	Issue SCN for refusal of consent in view of the deficiencies found during the inspection. 

	8
	35542  
	01-11-2010
	BALAJI STEEL (INDIA)
	A-140, WAZIRPUR INDUSTRIAL AREA
	Wazirpur Industrial Area
	Orange Operate
	MFG. OF STAINLESS STEEL UTENSILS.
	20-12-2010 : Details of case: CTE : Applied on 13.04.2009 Water Consumption :200LPD Waste Water generation : (a) Domestic effluent: 100LPD (b) Trade effluent: Nil Date of Commissioning:2009 ETP : N/A Test Report (Water) within limit : N/A Test Report (Air) within limit : Yes NMR submitted : N/A ATR: CTE applied on 13.04.2009(p)
	Issue SCN for refusal of consent in view of the SCN u/s 31(A) of the Air Act issued administratively. 
	Consent refused and confirm closure directions.

	9
	35543  
	01-11-2010
	NANDANVAN FARMS(GUPTAJEE)
	PALLA BHAKTAWAR ROAD, ALI PUR, DELHI-110036
	NORTH WEST
	Orange Operate
	FARM HOUSE (A PARTY LAWN).
	20-12-2010 : CMC desision: 26.05.2010 Ask the unit to submit Bank Guarantee of Rupees One Lakh each under Air Act and Water Act valid for one year. If unit submits the Bank Guarantee, closure directions be revoked and issue consent to establish. Also ask the unit to submit adequacy report and effluent analysis report of ETP from approved agencies of DPCC within 15 days, failing which, inspection be conducted. Deatils of case: CTE : Valid upto 08.08.2011 Water Consumption : 3.5 Kilo ltr/day Waste Water generation : (a) Domestic effluent: 0.2 Kilo ltr/day (b) Trade effluent: 3.0 Kilo ltr/day Date of Commissioning: Jan, 2010 ETP : Installed Test Report (Water) within limit : Yes Test Report (Air) within limit : N/A NMR submitted : submitted Ground water: 3.5 Kilo ltr/day ATR: MCD permission dated 18.12.2007 submitted. BG of Rs 1 Lakh each under air act and water act submitted. Closure direction revoked. Re- inspection done on 29.09.2010 and based on deficiencies, as per approval on file on 08.10.2010, SCN for closure issued on 19.10.2010. Reply recieved on 28.10.2010 and 23.11.2010 
along with an affidavit stating that deficienies has been rectified.
	Ask the unit to submit the fresh adequacy report for ETP in view of the rectification done after the inspection dated 29.09.2010. Copy of the letter along with inspection report dated 29.09.2010 be sent to GGS University with a request to clarify as to how the adequacy report was issued inspite of the deficiencies found during subsequent inspection  and to clarify the details of the methodology in batchwise biological treatment mentioned in the adequacy report issued as the waste water is not generated regularly from these kind of establishments. Inform to DJB regarding ground water extraction. 
	Ask the unit to submit the fresh adequacy report for ETP in view of the rectification done after the inspection dated 29.09.2010. Copy of the letter along with inspection report dated 29.09.2010 be sent to GGS University with a request to clarify as to how the adequacy report was issued inspite of the deficiencies found during subsequent inspection  and to clarify the details of the methodology in batchwise biological treatment mentioned in the adequacy report issued as the waste water is not generated regularly from these kind of establishments. Inform to DJB regarding ground water extraction. 

	10
	35544  
	01-11-2010
	JAGAT FARM HOUSE
	KHASRA NO 43/2,8,13 KHERA KALAN VILLAGE DELHI
	NORTH WEST
	Orange Operate
	FARM HOUSE (A PARTY LAWN).
	16-12-2010 : CMC Decision: 13.08.2010 Ask the unit to submit Bank Guarantee of Rs. One Lakh each under Air Act and Water Act valid for one year along with affidavit stating that unit will not operate its operation till installation of pollution control measures within 15 days. Thereafter, unit will submit an adequacy report and effluent analysis report of ETP from approved consultant / laboratory of DPCC and noise monitoring report of acousticaly treated D.G. Set from approved laboratory of DPCC. Details of case: CTE : applied on 29.07.2010 Water Consumption : 4.5 Kilo ltr/day Waste Water generation : (a) Domestic effluent: 0.2 Kilo ltr/day (b) Trade effluent: 4.0 Kilo ltr/day Date of Commissioning: 2010 ETP : Installed Test Report (Water) within limit :Yes Test Report (Air) within limit : N/A Ground Water: 4.5 kiloL/day ATR: MCD permission 23.05.2008 submitted BG of rs. 1 Lakh under air and water act submitted. NMR submitted : submitted
	Recommended for grant of consent to operate. Inform to DJB regarding ground water extraction. 
	Issue consent to operate. Inform to DJB regarding ground water extraction. 

	11
	35546  
	01-11-2010
	ASHOKA OFFSET WORKS
	A-27, GTK ROAD INDUSTRIAL AREA
	G.T. Karnal Road Industrial Area
	Orange Operate
	OFFSET PRINTING PRESS.
	20-12-2010 : Details of case: CTE :valid upto 27.01.2011 Water Consumption :150 LPD Waste Water generation : (a) Domestic effluent: 100 LPD (b) Trade effluent: Nil Date of Commissioning:2009 ETP : N/A Test Report (Water) within limit : N/A Test Report (Air) within limit : N/A NMR submitted : Yes ATR: CTE issued on 28.01.2010 and Valid upto 27.01.2011 vide C.No. 22672
	Ask the unit to apply for authorization under HWM Rules.
	Ask the unit to apply for authorization under HWM Rules.

	12
	35551  
	02-11-2010
	SHORE TO SHORE MIS PVT. LTD.
	A-50, PHASE-I, OKHLA INDUSTRIAL AREA
	Okhla Industrial Area
	Orange Operate
	OFFSET PRINTING UNIT.
	10-11-2010 : Earlier CMC Decision 07.05.10 Issue consent to establish. Subsequently, inspection be conducted. Ask the unit to apply for authorization under HWM Rules. 09.11.10 Issue SCN u/s 21/22 of the Air Act and u/s 25/26 of the Water Act for not obtaining consent to operate incorporating the deficiencies found during the inspection and SCN u/s 5 of the EPA for not following the HWM Rules. DETAILS OF THE CASE CTE : issued valid upto 03.06.2011 with CNO 23975 Water Consumption : 1150 l/d Waste Water generation : (a) Domestic effluent: 580 l/d (b) Trade effluent: 450 Lt/d Date of Commissioning: April 2010 ETP : Yes Test Report (Water) within limit : No Test Report (Air) within limit : NA NMR submitted : yes, dated 02.06.2010 G W : nil ATR/REMARKS 1. Adequacy Report of ETP dated October 2010 & Test Report dated 14.09.2010 submitted 2. D G Set : 200KVA 3. CTE (Green) issued valid upto 20.08.2009 with CNO 18740. 4. Authorization under HWM Rules applied on 02.11.2010 with ID no 0483. 5. Inspection was conducted by DPCC officials on 11.08.10
	Ask the unit to submit Bank Guarantee of Rs. 50,000 under HWM Rules valid for one year. If unit submits the Bank Guarantee, consent to operate and authorization be issued.
	Ask the unit to submit Bank Guarantee of Rs. 50,000 under HWM Rules valid for one year and affidavit for correction of deficiencies observed during the inspection. If unit submits the Bank Guarantee and requisite affidavit, consent to operate and authorization be issued.

	13
	35555  
	02-11-2010
	LAXMI TIRPAL HOUSE
	S-104, PHASE-II, BADLI INDUSTRIAL ESTATE
	Badli Industrial Estate
	Orange Operate
	MFG. OF PLASTIC PRODUCTS VIZTARPAULIN.
	20-12-2010 : Details of case: CTE : Valid upto 28.06.2007 Water Consumption : 200 ltr/day (Approx) Waste Water generation : (a) Domestic effluent: 150 ltr/day (b) Trade effluent: NIL Date of Commissioning: 2007 ETP : N/A Test Report (Water) within limit : N/A Test Report (Air) within limit : N/A NMR submitted : Submitted ATR: CTO applied on 14.08.2007
	Stack monitoring report submitted. Recommended for grant of consent to operate with the condition to provide hood & suction arrangement followed by a duct raised well above the roof levels (at least 2.0 meter above roof level) to channelize the process emissions within 06 months. 
	Stack monitoring report submitted. Issue consent to operate with the condition to provide hood & suction arrangement followed by a duct raised well above the roof levels (at least 2.0 meter above roof level) to channelize the process emissions and submit an compliance report on an affidavit within 06 months.

	14
	35560  
	02-11-2010
	JAIN OFFSET PRINTERS
	344, FIE, PATPARGANJ INDUSTRIAL AREA
	Patparganj Industrial Area
	Orange Renewal
	Printing of Papers (Off set Printing Press)
	07-12-2010 : CTE :granted valid up to 14.06.2011. Water Consumption :200 L/Day Waste Water generation : (a) Domestic effluent: 100 L/Day (b) Trade effluent: NIL Date of Commissioning: 2001 (existing) ETP : No Test Report (Water) within limit : NA Test Report (Air) within limit : NA NMR submitted : Yes, on 26.10.2010. (D.G.set:125 KVA) CTO granted valid upto 24.07.2007. G.W.: Nil.
	Recommended for grant of renewal of consent without trade effluent discharge and authorization under HWM Rules. 
	Issue renewal  of consent without trade effluent discharge and authorization under HWM Rules. 

	15
	35570
	04-11-2010
	KRISH AUTOMOTORS PVT. LTD.
	B-65/2
	WAZIRPUR INDUSTRIAL AREA
	Orange Renewal
	Workshop cum Service Station (with Washing)
	CTE :Not required. Water Consumption :3500 Lt/day. Waste Water generation : (a) Domestic effluent: 200 L/D (b) Trade effluent: 2000 Lt/day  Date of Commissioning: November, 2007. ETP : Yes Test Report (Water) within limit : Yes. Dated 28.10.2010. Test Report (Air) within limit : NA. NMR of D.G. Set 82.5 kVA dated 24.10.2010 submitted. CTO granted valid upto 06.11.2010. G.W.: 3000 Lt/day
	Recommended for grant of renewal of consent and authorization under HWM Rules. Inform to DJB regarding ground water extraction. 
	Issue renewal  of consent and authorization under HWM Rules. Inform to DJB regarding ground water extraction. 

	16
	35571  
	04-11-2010
	CHITRA CABINET WORKS
	A-93,SECTOR-2, DSIDC, BAWANA INDUSTRIAL AREA
	Bawana Industrial Area
	Orange Operate
	Mfg. of Fibre Glass (FRP) and its products.
	08-12-2010 : CTE : YES VALID FROM 19-11-2009 TO 18-11-2010 Water Consumption :150 LPD(ground water) Waste Water generation : (a) Domestic effluent: 100 LPD (b) Trade effluent: NIL Date of Commissioning: 2007 ETP : NA Test Report (Water) within limit :NA Test Report (Air) within limit : NA NMR submitted : NA
	Inspection be conducted. Infrom to DJB regarding ground water extraction. 
	Inspection be conducted. Infrom to DJB regarding ground water extraction. 

	17
	35573  
	04-11-2010
	CREATIVE IMPEX
	C-55/2, PH-II, OKHLA INDUSTRIAL AREA
	Okhla Industrial Area
	Orange Renewal
	Mfg. OF READYMADE GARMENTS WITH WASHING.
	12-11-2010 : EARLIER CMC DECISION 30.01.2009 SIT to inspect and report. Call on 18.03.2009 22.05.09 Ask the unit to correct the deficiencies noted by SIT during the inspection and confirm on affidavit. Call on 08.07.2009. DETAILS OF THE CASE CTE : Not Applied Water Consumption : 15.5 KLD Waste Water generation : (a) Domestic effluent: 2.3 KLD (b) Trade effluent: 12 KLD Date of Commissioning: 1994 ETP : Yes Test Report (Water) within limit : yes Test Report (Air) within limit : NA NMR submitted : Yes, dated 03.9.10 G W : nil ATR/REMARKS 1. D G Set : 125 KVA & 110 KVA. 2. CTO issued valid upto 11.10.2007 with CNO 15020. 3. CTR applied on 16.11.2007 with ID no 24219. 4. Adequacy of ETP dated October 2010 and test report dated 14.09.10.
	Inspection be conducted to check the existence of boiler.
	Inspection be conducted to check the existence of boiler.

	18
	35574  
	04-11-2010
	AUTO LEAVES (INDIA)
	87, DSIDC, WAZIRPUR INDUSTRIAL AREA
	Wazirpur Industrial Area
	Orange Renewal
	MFG. OF AUTO LEAVES.
	20-12-2010 : Details of case: CTE : Not Applied Water Consumption :60 L/day Waste Water generation : (a) Domestic effluent: 45l/day (b) Trade effluent: Nil Date of Commissioning:2002 ETP : N/A Test Report (Water) within limit : N/A Test Report (Air) within limit : Yes NMR submitted : N/A ATR: CTO issued on 23.06.2006 MCD licence submitted .
	Recommended for grant of renewal of consent.
	Issue renewal  of consent.

	19
	35575  
	04-11-2010
	GANGA POLYMERS
	H-1462, DSIDC, NARELA INDUSTRIAL AREA
	Narela Industrial Area
	Orange Renewal
	MFG. OF PVC COMPOUND AND FOOTWEAR.
	20-12-2010 : Deatils of case: CTE : Valid upto 28.08.2003 Water Consumption :185LPD Waste Water generation : (a) Domestic effluent: 100LPD (b) Trade effluent: Nil Date of Commissioning:2000 ETP : N/A Test Report (Water) within limit : N/A Test Report (Air) within limit : N/A NMR submitted : N/A ATR: CTE valid upto 16.02.2006 CTO valid upto 29.07.2007 CTO (R ) applied on 20.07.2007
	Recommended for grant of renewal of consent with the condition to provide hood & suction arrangement followed by a duct raised well above the roof levels (at least 2.0 meter above roof level) to channelize the process emissions within 06 months. 
	Issue renewal  of consent with the condition to provide hood & suction arrangement followed by a duct raised well above the roof levels (at least 2.0 meter above roof level) to channelize the process emissions and submit an compliance report on an affidavit within 06 months.

	20
	35576  
	04-11-2010
	SHREE BALAJI DAL UDYOG
	F-1673, NARELA INDUSTRIAL AREA
	Narela Industrial Area
	Orange Renewal
	DAL MILL.
	20-12-2010 : Details of case: CTE : Not Applied Water Consumption : 350l/day Waste Water generation : (a) Domestic effluent: 280l/day (b) Trade effluent: Nil Date of Commissioning:March 1996 ETP : N/A Test Report (Water) within limit : N/A Test Report (Air) within limit : Yes NMR submitted : Yes ATR: CTR issued on 08.04.2003
	Recommended for grant of renewal of consent.
	Issue renewal  of consent.

	21
	35577  
	04-11-2010
	VOHRA MOTOR TRADING CO.
	C-6/1, WAZIRPUR INDUSTRIAL AREA
	Wazirpur Industrial Area
	Orange Renewal
	MANUFACTURING OF TORSION BARS AND AUTO MIBILE SPRINGS.
	20-12-2010 : Details of case: CTE : Not Applied Water Consumption :60 l/day Waste Water generation : (a) Domestic effluent: 45 l/day (b) Trade effluent: Nil Date of Commissioning:May 1999 ETP : N/A Test Report (Water) within limit : N/A Test Report (Air) within limit : Yes NMR submitted : N/A ATR: MCD licence submitted
	Ask the unit to submit stack monitoring report from approved laboratory of DPCC.
	Ask the unit to submit stack monitoring report from approved laboratory of DPCC.

	22
	35578  
	04-11-2010
	S.G. ENGINEERS
	H-48, UDYOG NAGAR INDUSTRIAL AREA
	Udyog Nagar Industrial area
	Orange Renewal
	MFG. OF PUNCHED TAPE CONCERTINA COILS WITH ELECTROPLATING AND GALAVANIZED BARBED WIRE WITHOUT GALAVANIZING
	07-12-2010 : Details: CTE : issued valid upto 10.10.2005 vide consent order no 11913. Water Consumption : .100 KLD Waste Water generation : (a) Domestic effluent: .130 KLD (b) Trade effluent: 0.150 KLD Date of Commissioning: March 1987 ETP : yes, Adequacy report submitted Test Report (Water) within limit : Yes Test Report (Air) within limit : yes (furnace) NMR submitted : Yes dated 27.10.2010 (D.G. Set of 140 KVA) GW: NIL ATR/Remarks: CTO issued twice valid upto 29.07.2005 & 17.11.2007 respectively. CTO_R issued valid upto 07.11.2010 vide consent order no 23869.
	Recommended for grant of renewal of consent.
	Issue renewal of consent. Ask the unit to apply for fresh authorization under HWM Rules. Inform to DJB regarding ground water extraction. 

	23
	35581  
	04-11-2010
	SAHIB INDUSTRIES
	GI-109, MAYAPURI INDL. AREA,PH-II
	Mayapuri Industrial Area
	Orange Operate
	PLASTIC GRANUALS
	08-12-2010 : Details: CTE : applied on 04.11.2010 vide ID no 35580. Water Consumption :0.2 KLD Waste Water generation : (a) Domestic effluent: 0.1 KLD (b) Trade effluent: NIL Date of Commissioning:Jan, 2010 ETP : N/A Test Report (Water) within limit : N/A Test Report (Air) within limit : N/A NMR submitted : yes dated 29.07.2010 (D.G. Set: 125 KVA) GW:nil
	Recommended for grant of consent to operate with the condition to provide hood & suction arrangement followed by a duct raised well above the roof levels (at least 2.0 meter above roof level) to channelize the process emissions within 06 months. 
	Issue consent to operate with the condition to provide hood & suction arrangement followed by a duct raised well above the roof levels (at least 2.0 meter above roof level) to channelize the process emissions and submit an compliance report on an affidavit within 06 months.

	24
	35583
	08-11-2010
	SHRI BANKEY BIHARI BRIJWASI RASGULLA WALA
	D-128, KAMLA NAGAR
	NC-N
	Orange Renewal
	SWEET SHOP AND CATERING
	CTE : no
Water Consumption :700 LPD
Waste Water generation : 
(a) Domestic effluent: 450 LPD
(b) Trade effluent: 200 LPD
Date of Commissioning:1957
ETP :  NO
Test Report (Water) within limit :  NA
Test Report (Air) within limit :  NO
NMR submitted : NO
CTO valid from 27.7.2006 to 14.9.2007
	Inspection be conducted.
	Inspection be conducted.

	25
	35587  
	08-11-2010
	SADASHIV AGRO FOODS PVT LTD.
	C-35/16,LAWRENCE ROAD INDUSTRIAL AREA
	Lawrence Road Industrial Area
	Orange Operate
	MFG. OF FLOUR AND BESAN.
	20-12-2010 : Details of case: CTE : Valid upto 16.10.2007 Water Consumption : 350 ltr/day Waste Water generation : (a) Domestic effluent: 150 ltr/day (b) Trade effluent: NIL Date of Commissioning: July,2007 ETP : N/A Test Report (Water) within limit : N/A Test Report (Air) within limit : Yes NMR submitted : N/A Ground Water: 200 ltr/day ATR: CTO applied on 28.11.2007
	Recommended for grant of consent to operate. Inform to DJB regarding ground water extraction. 
	Issue consent to operate. Inform to DJB regarding ground water extraction. 

	26
	35588  
	08-11-2010
	SHREE BANKEY BEHARI ROLLER FLOUR MILLS
	C-12, LAWRENCE ROAD INDUSTRIAL AREA
	Lawrence Road Industrial Area
	Orange Renewal
	(WHEAT) FLOUR MILLING.
	20-12-2010 : Deatils of case: CTE : Not Applied Water Consumption : 450 ltr/day Waste Water generation : (a) Domestic effluent: 150 ltr/day (b) Trade effluent: NIL Date of Commissioning: 1990 ETP : N/A Test Report (Water) within limit : N/A Test Report (Air) within limit :Yes NMR submitted : N/A ATR: CTR issued on 24.10.2005 and valid upto 31.10.2007 with C.no. 13254. CTR Applied on 16.10.2007 with Id.No. 23921.
	Recommended for grant of renewal of consent.
	Issue renewal  of consent.

	27
	35589  
	08-11-2010
	SHREE BANKEY BIHARI EXPORTS LTD.
	C-48/1, LAWRENCE ROAD INDUSTRIAL AREA
	Lawrence Road Industrial Area
	Orange Operate
	FLOUR MILL AND DALL MILL.
	20-12-2010 : Details of case: CTE : Valid upto 09.11.2007 Water Consumption : 350 ltr/day Waste Water generation : (a) Domestic effluent: 150 ltr/day (b) Trade effluent: NIL Date of Commissioning: Sep,2006 ETP : N/A Test Report (Water) within limit : N/A Test Report (Air) within limit : Yes NMR submitted : Submitted ATR: CTO applied on 31.07.2007
	Recommended for grant of consent to operate. 
	Issue consent to operate. 

	28
	35590  
	08-11-2010
	SHREE BANKEY BEHARI EXPORTS LTD.
	C-42/3, LAWRENCE ROAD INDUSTRIAL AREA
	Lawrence Road Industrial Area
	Orange Operate
	DALL MILL.
	20-12-2010 : Details of case: CTE : Not Applied Water Consumption : 350 ltr/day Waste Water generation : (a) Domestic effluent: 150 ltr/day (b) Trade effluent: NIL Date of Commissioning: 1996 ETP : N/A Test Report (Water) within limit : N/A Test Report (Air) within limit : Yes NMR submitted : Submitted Ground Water: 350 ltr/day ATR: CTR Issued on 24.10.2005 and valid upto 24.10.2005 with C.No. 13266. CTO Applied on 10.08.2007 with id.no. 23081.
	Recommended for grant of consent to operate. Inform to DJB regarding ground water extraction. 
	Issue consent to operate. Inform to DJB regarding ground water extraction. 

	29
	35595  
	09-11-2010
	OSWAL POLYPACKS
	8, BADLI INDUSTRIAL AREA, PHASE-II
	Badli Industrial Estate
	Orange Renewal
	MFG. OF PVC FILMS.
	20-12-2010 : Details of case: CTE : Not Applied Water Consumption :150l/day Waste Water generation : (a) Domestic effluent: 50l/day (b) Trade effluent: nil Date of Commissioning:2000 ETP : N/A Test Report (Water) within limit : N/A Test Report (Air) within limit : N/A NMR submitted : N/A ATR: CTO garnted on 23.08.2004
	Recommended for grant of renewal of consent with the condition to provide hood & suction arrangement followed by a duct raised well above the roof levels (at least 2.0 meter above roof level) to channelize the process emissions within 06 months. 
	Issue renewal  of consent with the condition to provide hood & suction arrangement followed by a duct raised well above the roof levels (at least 2.0 meter above roof level) to channelize the process emissions and submit an compliance report on an affidavit within 06 months.

	30
	35596  
	10-11-2010
	GOWARSONS PUBLISHERS PVT. LTD
	A-143, GULAB HOUSE, MAYAPURI INDUSTRIAL AREA, PH-II
	Mayapuri Industrial Area
	Orange Renewal
	OFFSET PRINTING AND PUBLISHING
	07-12-2010 : ATR/Remarks CTE : Not applied Water Consumption :1.500 KLD Waste Water generation : (a) Domestic effluent: 0.400 KLD (b) Trade effluent: .900 KLD Date of Commissioning:Since 1972 ETP : yes, adequacy repot submitted Test Report (Water) within limit : yes Test Report (Air) within limit : N/A NMR submitted :yes, dated 02.08.2010 (D.G. Set of 75 KVA) CTO issued twice valid upto 16.01.2004 &15.01.2007 respectively. Applied for CTO_R on 13.02.2007 vide ID no 20645. Applied for fresh authorization under HWM Rules on 10.11.2010 vide ID no 0486.
	Ask the unit to submit the fresh effluent analysis report with complete parameters inlcuding sulphide, bio-assay, total metal and phenolic compounds from approved laboratory of DPCC.
	Ask the unit to submit the fresh effluent analysis report with complete parameters inlcuding sulphide, bio-assay, total metal and phenolic compounds from approved laboratory of DPCC.

	31
	35597  
	10-11-2010
	AASHISH UDYOG
	PLOT NO.-94, POCKET-F, SECTOR-2, DSIDC BAWANA INDUSTRIAL AREA
	Bawana Industrial Area
	Orange Operate
	Manufacturing of Electrical Accessories.
	08-12-2010 : CTE : Pending Applied on 12.08.2010 Water Consumption : 200 lpd Waste Water generation : (a) Domestic effluent: 175 lpd (b) Trade effluent: Nil Date of Commissioning: 9th Aug, 2010 ETP :NA Test Report (Water) within limit : NA Test Report (Air) within limit : NA NMR submitted : NA
	Consent to Establish issued. Inspection be conducted to check the buffing activity.
	Inspection be conducted to check the buffing activity.

	32
	35602  
	10-11-2010
	SHIV FARM
	KH. NO.-77/15/4 (2-12), 16 (4-16), 25/1(2-0) & 25/2 (2-10), VILLAGE BAKHTAWAR PUR PALLA
	NORTH WEST
	Orange Operate
	FARM HOUSE ONLY.
	20-12-2010 : CMC decision: 05.08.2010 Issue CTE or ask the unit to apply for CTO immediately. Details of case: CTE : Valid uptp 09.09.2011 Water Consumption : 4.2 Kilo ltr/day Waste Water generation : (a) Domestic effluent: 0.01 Kilo ltr/day (b) Trade effluent: 0.4 Kilo ltr/day Date of Commissioning: March, 2009 ETP : Proposed Test Report (Water) within limit : Yes Test Report (Air) within limit : N/A NMR submitted : Submitted ATR: Letter issued on 21.09.2010. CTE issued on 10.09.2010. Reply received on 25.10.2010. B.G submitted. MCD licence permit on date 30.04.2008.
	Issue SCN for refusal of consent and inform concerned DC, MCD for cancellation of permission for the commercial activity in view of the representation received from the unit. 
	Issue SCN for refusal of consent and inform concerned DC, MCD for cancellation of permission for the commercial activity in view of the representation received from the unit. 

	33
	35603  
	10-11-2010
	INDIA HABITAT CENTRE
	LODHI ROAD DELHI
	NEW DELHI
	Orange Operate
	INTEGRATED COMPLEX WITH OFFICE CUM FACILITY BLOCK.
	20-12-2010 : Details of Case: CTE : Valid upto 11.10.2011 Water Consumption : 72 Kilo ltr/day Waste Water generation : (a) Domestic effluent: 10 Kilo ltr/day (b) Trade effluent: 50 Kilo ltr/day Date of Commissioning: Jan,1997 ETP : Installed Test Report (Water) within limit : Yes Test Report (Air) within limit : Yes NMR submitted : Yes Ground Water: 60 ltr/day ATR: CTE issued on 19.11.2010 with C.No. 26088.
	Implement the earlier CMC's decision dated 13.01.2011. Inform to DJB regarding ground water extraction. 
	Implement the earlier CMC's decision dated 13.01.2011. Inform to DJB regarding ground water extraction. 

	34
	35611  
	12-11-2010
	MOHAN ENTERPRISES
	C-141, PH-II, MAYAPURI INDUSTRIAL AREA
	Mayapuri Industrial Area
	Orange Renewal
	ELECTROPLATING(ZINC PLATING)
	07-12-2010 : ATR/Remarks CTE : issued valid upto 08.12.2004 vide consent order no 8981. Water Consumption :1.750 KLD Waste Water generation : (a) Domestic effluent: 0.200 KLD (b) Trade effluent: 1.400 KLD Date of Commissioning:Since 2004 ETP : yes, Adequacy report submitted Test Report (Water) within limit : Yes Test Report (Air) within limit : N/A NMR submitted : N/A (no D.G. Set) CTO issued valid upto 05.12.2007 vide consent order no 14327. Applied for CTO_R on 28.11.2007 vide ID no 24354. Applied for renewal of authorization under HWM Rules on 21.05.2010 vide ID no 0143.
	Recommended for grant of renewal of consent and authorization under HWM Rules.
	Issue renewal  of consent and authorization under HWM Rules.

	35
	35613  
	12-11-2010
	PEARL ENGINEERING CO.
	C-169, PH-II, MAYAPURI INDUSTRIAL AREA
	Mayapuri Industrial Area
	Orange Renewal
	MFG OF PLASTIC PRODUCTS VIZ RECORDED COMPACT DISC
	07-12-2010 : ATR/Remarks CTE : Not applied Water Consumption : 500 LPD Waste Water generation : (a) Domestic effluent: 200 LPD (b) Trade effluent: NIL Date of Commissioning:2004 ETP : N/A Test Report (Water) within limit : N/A Test Report (Air) within limit : N/A NMR submitted : N/A (No D.G. Set) CTO issued valid upto 01.07.2007 vide consent order no 11386. Applied for CTO_R on 08.08.2007 vide ID no 23043. unit applied for fresh authorization under HWM Rules on 12.11.2010 vide ID no 0490.
	Recommended for grant of renewal of consent with the condition to provide hood & suction arrangement followed by a duct raised well above the roof levels (at least 2.0 meter above roof level) to channelize the process emissions within 06 months and authorization under HWM Rules.
	Issue renewal  of consent with the condition to provide hood & suction arrangement followed by a duct raised well above the roof levels (at least 2.0 meter above roof level) to channelize the process emissions and submit an compliance report on an affidavit within 06 months and authorization under HWM Rules.

	36
	35614  
	12-11-2010
	NEW BRIGHT ENTERPRISES
	B-69, MAYAPURI INDUSTRIAL AREA PHASE-1
	Mayapuri Industrial Area
	Orange Operate
	MFG OF RUBBER SHEET/ FOOTWEAR
	08-12-2010 : Details: CTE : issued valid upto 07.10.200 vide consent order no 21383. Water Consumption :500 LPD Waste Water generation : (a) Domestic effluent: 150 LD (b) Trade effluent: NIL Date of Commissioning:2009 ETP : N/A Test Report (Water) within limit : N/A Test Report (Air) within limit : yes (thermic fluid heater) NMR submitted : N/A (no D.G. Set) GW: 500LPD
	Recommended for grant of consent to operate with the condition to provide hood & suction arrangement followed by a duct raised well above the roof levels (at least 2.0 meter above roof level) to channelize the process emissions within 06 months. Inform to DJB regarding ground water extraction. 
	Issue consent to operate with the condition to provide hood & suction arrangement followed by a duct raised well above the roof levels (at least 2.0 meter above roof level) to channelize the process emissions and submit an compliance report on an affidavit within 06 months. Inform to DJB regarding ground water extraction. 

	37
	35615  
	12-11-2010
	INDO ACCORD CABLE INDS
	E-866, NARELA INDUSTRIAL AREA
	Narela Industrial Area
	Orange Renewal
	MFG. OF PVC CABLES.
	20-12-2010 : Details of case: CTE : Not Applied Water Consumption : 300 ltr/day Waste Water generation : (a) Domestic effluent: 150 ltr/day (b) Trade effluent: NIL Date of Commissioning: 1997 ETP : N/A Test Report (Water) within limit : N/A Test Report (Air) within limit : N/A NMR submitted : N/A ATR: CTO granted on 24.10.2005 and valid upto 16.12.2007. CTR Applied on 14.11.2007.
	Recommended for grant of renewal of consent with the condition to provide hood & suction arrangement followed by a duct raised well above the roof levels (at least 2.0 meter above roof level) to channelize the process emissions within 06 months. 
	Issue renewal  of consent with the condition to provide hood & suction arrangement followed by a duct raised well above the roof levels (at least 2.0 meter above roof level) to channelize the process emissions and submit an compliance report on an affidavit within 06 months.

	38
	35616  
	12-11-2010
	SHAH NAMKEEN
	283, FIE PATPARGANJ INDUSTRIAL AREA
	Patparganj Industrial Area
	Orange Renewal
	Mfg. of Namkeen.
	08-12-2010 : CTE :Yes, valid upto 14.06.2011. Water Consumption :2000 L/D Waste Water generation : (a) Domestic effluent: 200 L/D (b) Trade effluent: 1700 L/D Date of Commissioning:AUG 2004 ETP : No Test Report (Water) within limit : NA SMR: Yes (03.11.2010) Test Report (Air) within limit : Yes NMR submitted : NA (DG Set: Nil) G.W.: Nil
	Recommended for grant of renewal of consent.
	Oil & Grease trap installed. Issue renewal of consent.

	39
	35621  
	15-11-2010
	SHARMA & COMPANY
	I-120, SECTOR-5, DSIDC BAWANA INDL.AREA
	Bawana Industrial Area
	Orange Operate
	Mfg. of Rubber and Plastic Goods.
	08-12-2010 : CTE : YES valid from 19.11.2009 to 18.11.2010 Water Consumption :60 LPD Waste Water generation : (a) Domestic effluent: 40 LPD (b) Trade effluent: NIL Date of Commissioning: 1st OCT 2009 ETP : NA Test Report (Water) within limit : NA Test Report (Air) within limit : NA NMR submitted : NA
	Recommended for grant of consent to operate with the condition to provide hood & suction arrangement followed by a duct raised well above the roof levels (at least 2.0 meter above roof level) to channelize the process emissions within 06 months. 
	Issue consent to operate with the condition to provide hood & suction arrangement followed by a duct raised well above the roof levels (at least 2.0 meter above roof level) to channelize the process emissions and submit an compliance report on an affidavit within 06 months.

	40
	35622  
	15-11-2010
	ASHOKA SERVICE STATION
	SIRI FORT AUDITORIUM, BEHIND HAUZ KHAS, NEAR GULMOHAR PARK
	SOUTH 
	Orange Renewal
	PETROL PUMP CUM SERVICE STATION.
	06-12-2010 : DETAILS OF THE CASE CTE : Not applied Water Consumption : 1350 l/d Waste Water generation : (a) Domestic effluent: 300 l/d (b) Trade effluent: 800 l/d Date of Commissioning: 1973 ETP : Yes Test Report (Water) within limit : Yes Test Report (Air) within limit : NA NMR submitted : NA GW : NIL ATR/REMARKS 1. CTO obtained, valid upto 26.08.06 vide CNO 11425. 2. HWM applied on 15.11.10 vide id no 0492.
	Ask the unit to submit fresh effluent analysis report from approved laboratory of DPCC. 
	Ask the unit to submit fresh effluent analysis report from approved laboratory of DPCC. 

	41
	35625  
	15-11-2010
	RESTODYNE PVT. LTD.
	C-29, PHASE-I, OKHLA INDUSTRIAL AREA
	Okhla Industrial Area
	Orange Operate
	FLOUR MILLS.
	19-11-2010 : EARLIER CMC DECISIONS 16.03.10 (Establish) Issue Consent to Establish. Subsequently, inspection be conducted. 16.06.10 Issue SCN u/s 31(A) of the Air Act for closure of the unit. 22.09.10 File was put up administratively and as approved on file, the closure directions u/s 31(A) of Air Act and SCN for revocation of consent to establish have been issued. Decision taken on file ratified. Details Of The Case CTE : issued on 15.04.10 Water Consumption : 200l/d Waste Water generation : (a) Domestic effluent: 150 l/d (b) Trade effluent: NIL Date of Commissioning: Feb 2010 ETP : NA Test Report (Water) within limit : NA Test Report (Air) within limit : NO (not given) NMR submitted : NA GW : NIL ATR/REMARKS 1. Technical Adequacy of ECS dated October 2010 submitted. 2. No DG Set.
	If the unit complies with the earlier CMC's decision regarding submission of Bank Guarantee, unit be ask to submit stack monitoring report of ECS from approved laboratory of DPCC after revocation of the closure order. 
	If the unit complies with the earlier CMC's decision regarding submission of Bank Guarantee, unit be asked to submit stack monitoring report of ECS from approved laboratory of DPCC after revocation of the closure order. 

	42
	35626  
	15-11-2010
	SATYA DIE REPAIRING WORKS
	B-46, SECTOR-5, DSIDC BAWANA INDUSTRIAL AREA
	Bawana Industrial Area
	Orange Operate
	Manufacturing of Dies and Plastic product (Small Bottles)
	08-12-2010 : CTE : YES issued on 6-11-2006 valid upto 5-11-2007 CTO applied on 5-12-2007 Water Consumption : 100 lpd Waste Water generation : (a) Domestic effluent: 50 lpd (b) Trade effluent: Nil Date of Commissioning: Dec 2006 ETP : NA Test Report (Water) within limit :NA Test Report (Air) within limit : NA NMR submitted : NA
	Recommended for grant of consent to operate with the condition to provide hood & suction arrangement followed by a duct raised well above the roof levels (at least 2.0 meter above roof level) to channelize the process emissions within 06 months. 
	Issue consent to operate with the condition to provide hood & suction arrangement followed by a duct raised well above the roof levels (at least 2.0 meter above roof level) to channelize the process emissions and submit an compliance report on an affidavit within 06 months.

	43
	35627  
	15-11-2010
	RAMA PLASTIC & ENGG. WORKS
	L-27, SECTOR-2, DSIDC BAWANA INDUSTRIAL AREA
	Bawana Industrial Area
	Orange Operate
	Manufacturing of Dies and Plastic product (Small Bottles)
	08-12-2010 : CTE : YES issued on 6-11-2006 valid upto 5-11-2007 CTO applied on 5-12-2007 Water Consumption :100 LPD Waste Water generation : (a) Domestic effluent: 50 LPD (b) Trade effluent: NIL Date of Commissioning:DEC 2006 ETP :NA Test Report (Water) within limit :NA Test Report (Air) within limit : NA NMR submitted : NA
	Recommended for grant of consent to operate with the condition to provide hood & suction arrangement followed by a duct raised well above the roof levels (at least 2.0 meter above roof level) to channelize the process emissions within 06 months. 
	Issue consent to operate with the condition to provide hood & suction arrangement followed by a duct raised well above the roof levels (at least 2.0 meter above roof level) to channelize the process emissions and submit an compliance report on an affidavit within 06 months.

	44
	35628  
	15-11-2010
	SHADE-X CREATIONS UNIT-I
	G-46 LAWRANCE ROAD INDUSTRIAL AREA
	Lawrence Road Industrial Area
	Orange Operate
	WASHING AND DYEING OF READYMADE GARMENTS.
	16-12-2010 : Details of Case: CTE :valid upto 12.01.2005 Water Consumption :18000LPD Waste Water generation : (a) Domestic effluent: 500LPD (b) Trade effluent: 14000LPD Date of Commissioning:2010 ETP : YES Test Report (Water) within limit : yes Test Report (Air) within limit : Yes NMR submitted : N/A ATR: CTE applied on 13.09.2010 with ID 35109
	Closure direcctions be revoked and consent to operate and authorization under HWM Rules be issued and thereafter surprise inspection be conducted within 03 months. 
	Closure direcctions be revoked and consent to operate and authorization under HWM Rules be issued and thereafter surprise inspection be conducted within 03 months. 

	45
	35629  
	15-11-2010
	SHADE-X CREATIONS UNIT-II
	G-45 LAWRANCE ROAD INDUSTRIAL AREA
	Lawrence Road Industrial Area
	Orange Operate
	WASHING AND DYEING OF READYMADE GARMENTS.
	16-12-2010 : Details of case: CTE : Pending Water Consumption : 18000 ltr/day Waste Water generation : (a) Domestic effluent: 500 ltr/day (b) Trade effluent: 14000 ltr/day Date of Commissioning: Jan, 2010 ETP : Installed Test Report (Water) within limit : Yes Test Report (Air) within limit : Yes NMR submitted : N/A Ground water: 16000 ltr/day ATR: CTE applied on 13.09.2010 with ID 35108.
	Closure direcctions be revoked and consent to operate and authorization under HWM Rules be issued and thereafter surprise inspection be conducted within 03 months. Inform to DJB regarding ground water extraction. 
	Closure direcctions be revoked and consent to operate and authorization under HWM Rules be issued and thereafter surprise inspection be conducted within 03 months. Inform to DJB regarding ground water extraction. 

	46
	35630  
	15-11-2010
	EVEREST ELECTRICAL INDUSTRIES
	18, MOTI NAGAR DLF INDUSTRIAL AREA
	Moti Nagar DLF Industrial Area
	Orange Renewal
	RUBBER PARTS VIZ COMPONENTS SHEET STRIP CORD
	20-12-2010 : ATRRemarks CTE: not applied Water consumption: 390 LPd Waste Water Generation : (a) Domestic effluent: 312 LPd (B) Trade eff: nil Date of commissioning : 1960 ETP: NA Test report (Water): NA TEst report (AIR): NA NMR Submitted: NA Earlier CTO_R issued valid upto 24.05.2010 vide consent order no. 13923 under green category CTO issued valid upro 25.07.2007 vide cobnsent order no 11188 under orange category CTO_R issued valid upro 27.06.2010 vide consent order no. 26110 under green category Applied for CTO_R on 22.08.2007 vide ID no 23213 under orange category CTO issued valid uprto 28.03.2005 vide consent order no 1231 under green category CTO issued valid upto 07.01.2004 vide copnsent order no 1640 under orange category
	Inspection be conducted.
	Inspection be conducted.

	47
	35632  
	15-11-2010
	BRISTOL FARMS (GUPTAJEE)
	PALLA BHAKTAWAR ROAD, ALI PUR, DELHI-110036
	NORTH WEST
	Orange Operate
	FARM HOUSE / PARTIES LAWN.
	16-12-2010 : CMC decision: 26.05.2010 Ask the unit to submit Bank Guarantee of Rupees One Lakh each under Air Act and Water Act valid for one year. If unit submits the Bank Guarantee, closure directions be revoked and issue consent to establish. Also ask the unit to submit adequacy report and effluent analysis report of ETP from approved agencies of DPCC within 15 days, failing which, inspection be conducted. Details of case: CTE : Valid upto 08.08.2011 Water Consumption : 3.5 Kilo ltr/day Waste Water generation : (a) Domestic effluent: 0.2 Kilo ltr/day (b) Trade effluent: 3.0 Kilo ltr/day Date of Commissioning: Jan, 2010 ETP : Installed Test Report (Water) within limit :Yes Test Report (Air) within limit : Yes NMR submitted : submitted Ground water: 3.5 kl/day ATR: MCD permission dated 18.12.2007 submitted. BG of Rs 1 Lakh each under air act and water act submitted. Closure direction revoked. Re- inspection done on 29.09.2010 and based on deficiencies, as per approval on file on 13.10.2010, BG of rs 1 laklh each under air and water act has been forfeitted by DPCC, SCN for closure issued on 01.11.2010. Reply recieved on 23.11.2010 along with an affidavit stating that deficienies has been rectified.
	Ask the unit to submit the fresh adequacy report for ETP in view of the rectification done after the inspection dated 29.09.2010. Copy of the letter along with inspection report dated 29.09.2010 be sent to GGS University with a request to clarify as to how the adequacy report was issued inspite of the deficiencies found during subsequent inspection  and to clarify the details of the methodology in batchwise biological treatment mentioned in the adequacy report issued as the waste water is not generated regularly from these kind of establishments.  Also ask the unit to submit Bank Guarantee of Rupees Two Lakh each under Air Act and Water Act valid for one year. Inform to DJB regarding ground water extraction. 
	Ask the unit to submit the fresh adequacy report for ETP in view of the rectification done after the inspection dated 29.09.2010. Copy of the letter along with inspection report dated 29.09.2010 be sent to GGS University with a request to clarify as to how the adequacy report was issued inspite of the deficiencies found during subsequent inspection  and to clarify the details of the methodology in batchwise biological treatment mentioned in the adequacy report issued as the waste water is not generated regularly from these kind of establishments.  Also ask the unit to submit Bank Guarantee of Rupees Two Lakh each under Air Act and Water Act valid for one year. Inform to DJB regarding ground water extraction. 

	48
	35634  
	15-11-2010
	PERFECT METAL (INDIA) RAJ KUMAR JAIN
	D-1509, DSIDC NARELA INDUSTRIAL AREA
	Narela Industrial Area
	Orange Renewal
	PRESSURE COOKER AND KITCHENWARE.
	20-12-2010 : Details of case: CTE : Not Applied Water Consumption : 0.5 Kilo ltr/day Waste Water generation : (a) Domestic effluent: 0.3 Kilo ltr/day (b) Trade effluent: NIL Date of Commissioning: 2004 ETP : N/A Test Report (Water) within limit : N/A Test Report (Air) within limit : Yes NMR submitted : N/A ATR: CTO issued and consent no 15319. CTR applied on 12.10.2007
	Inspection be conducted to clarify the exact activity going on as the CTO was issued earlier for the purpose of anodizing also. 
	Inspection be conducted to clarify the exact activity going on as the CTO was issued earlier for the purpose of anodizing also. 

	49
	35636  
	16-11-2010
	SHREE BANKEY BEHARI EXPORTS LTD.
	C-42, LAWRENCE ROAD INDUSTRIAL AREA
	Lawrence Road Industrial Area
	Orange Renewal
	DALL MILL (BESAN MILLING ACTIVITY).
	20-12-2010 : Details of case: CTE : Not Applied. Water Consumption : 350 ltr/day Waste Water generation : (a) Domestic effluent: 150 ltr/day (b) Trade effluent: NIL Date of Commissioning: 1996 ETP : N/A Test Report (Water) within limit : N/A Test Report (Air) within limit : Yes NMR submitted : N/A ATR: CTR Issued on 09.09.2005 and valid upto 29.12.2208 with C.No. 12873. CTR Applied on 28.11.2007 with Id.No. 24348.
	Recommended for grant of renewal of consent.
	Issue renewal  of consent.

	50
	35637  
	16-11-2010
	GOPI RAM HARI RAM
	C-21, LAWRENCE ROAD INDUSTRIAL AREA
	Lawrence Road Industrial Area
	Orange Renewal
	DALL MILL.
	16-12-2010 : Details of case: CTE : Not Applied Water Consumption :350 l/day Waste Water generation : (a) Domestic effluent: 150l/day (b) Trade effluent: Nil Date of Commissioning: since 1994 ETP : N/A Test Report (Water) within limit : N/A Test Report (Air) within limit : Yes NMR submitted : N/A ATR: CTR issued on 27.10.2005. CTR applied on 03.12.2007.
	Recommended for grant of renewal of consent.
	Issue renewal  of consent.

	51
	35638  
	16-11-2010
	SHREE BANKEY BEHARI EXPORTS LTD.
	C-46/2, LAWRENCE ROAD INDUSTRIAL AREA
	Lawrence Road Industrial Area
	Orange Operate
	DALL MILL.
	20-12-2010 : Details of case: CTE : Valid upto 22.09.2004 Water Consumption : 350 ltr/day Waste Water generation : (a) Domestic effluent: 150 ltr/day (b) Trade effluent: NIL Date of Commissioning: Dec,2003 ETP : N/A Test Report (Water) within limit : N/A Test Report (Air) within limit : Yes NMR submitted : N/A Ground water: 350 ltr/day ATR: CTO granted on 24.10.2005 and valid upto 29.12.2007. CTR applied on 28.11.2007.
	Recommended for grant of consent to operate. Inform to DJB regarding ground water extraction. 
	Issue consent to operate. Inform to DJB regarding ground water extraction. 

	52
	35641  
	16-11-2010
	S.K. ENTERPRISES
	N-209,SECTOR-1,DSIDC INDUSTRIAL COMPLEX BAWANA INDUSTRIAL AREA
	Bawana Industrial Area
	Orange Operate
	Mfg. of Plastic Goods (Moulded Items and Dana).
	08-12-2010 : CTE : YES valid from 19.11.2009 to 18.11.2010 Water Consumption : 200 lpd Waste Water generation : (a) Domestic effluent: 100 lpd (b) Trade effluent: Nil Date of Commissioning: June 2007 ETP : NA Test Report (Water) within limit : NA Test Report (Air) within limit : NA NMR submitted : NA
	Recommended for grant of consent to operate with the condition to provide hood & suction arrangement followed by a duct raised well above the roof levels (at least 2.0 meter above roof level) to channelize the process emissions within 06 months. 
	Issue consent to operate with the condition to provide hood & suction arrangement followed by a duct raised well above the roof levels (at least 2.0 meter above roof level) to channelize the process emissions and submit an compliance report on an affidavit within 06 months.

	53
	35648  
	16-11-2010
	WEMBLEY TAPE MFG. CO
	A-113, PH-II, MANGOLPURI INDUSTRIAL AREA
	Mangolpuri Industrial Area
	Orange Operate
	CUTTING AND PACKING OF SELF ADHESIVE TAPES.
	20-12-2010 : CMC decision: 27.08.2010 SCN u/s 21/22 of Air act and u/s 25/26 Water Act. Reply not received. Details of case: CTE : Valid upto 02.06.2010 Water Consumption : 250 ltr/day Waste Water generation : (a) Domestic effluent: 200 ltr/day (b) Trade effluent: NIL Date of Commissioning: 1994 ETP : N/A Test Report (Water) within limit : N/A Test Report (Air) within limit : N/A NMR submitted : N/A ATR: CTO applied on 16.11.2010.
	Recommended for grant of consent to operate. 
	Issue consent to operate. 

	54
	35653  
	18-11-2010
	UPKARAN NIRMAN SAMVAY
	H-86, SEC-3, DSIDC BAWANA INDUSTRIAL AREA
	Bawana Industrial Area
	Orange Operate
	Mfg. of Electronics precision instruments and Components.
	08-12-2010 : CTE : YES valid from 19.11.2009 to 18.11.2010 Water Consumption : 200 lpd(ground water) Waste Water generation : (a) Domestic effluent: 100 lpd (b) Trade effluent: nil Date of Commissioning: dec 2009 ETP : na Test Report (Water) within limit : NA Test Report (Air) within limit : NA NMR submitted : NA
	Recommended for grant of consent to operate. Inform to DJB regarding ground water extraction. 
	Issue consent to operate. Inform to DJB regarding ground water extraction. 

	55
	35654  
	18-11-2010
	JAIN UDYOG
	PLOT NO.221, PKT-D, SECTOR-3, DSIDC INDUSTRIAL COMPLEX, BAWANA INDUSTRIAL AREA
	Bawana Industrial Area
	Orange Operate
	Mfg. of PVC/Plastic Goods with injection and Blow Moulding Machine.
	08-12-2010 : CTE : YES valid from 19.11.2009 to 18.11.2010 Water Consumption : 350 lpd(ground water) Waste Water generation : (a) Domestic effluent: 250 lpd (b) Trade effluent: Nil Date of Commissioning: Nov 2009 ETP : NA Test Report (Water) within limit : NA Test Report (Air) within limit : NA NMR submitted : NA
	Recommended for grant of consent to operate with the condition to provide hood & suction arrangement followed by a duct raised well above the roof levels (at least 2.0 meter above roof level) to channelize the process emissions within 06 months. Inform to DJB regarding ground water extraction. 
	Issue consent to operate with the condition to provide hood & suction arrangement followed by a duct raised well above the roof levels (at least 2.0 meter above roof level) to channelize the process emissions and submit an compliance report on an affidavit within 06 months. Inform to DJB regarding ground water extraction. 

	56
	35655  
	18-11-2010
	SHUKLA INDUSTRIAL WORKS
	PLOT NO.127, PKT-E, SECTOR-3, DSIDC INDUSTRIAL COMPLEX, BAWANA INDUSTRIAL AREA
	Bawana Industrial Area
	Orange Operate
	Mfg. of PVC/Plastic Goods (with Injection and Blow Moulding Machine)
	08-12-2010 : CTE : yes valid from 19.11.2009 to 18.11.2010 Water Consumption : 350 ld (ground water) Waste Water generation : (a) Domestic effluent: 250 lpd (b) Trade effluent: Nil Date of Commissioning: Nov 2009 ETP : NA Test Report (Water) within limit : NA Test Report (Air) within limit : NA NMR submitted : NA
	Recommended for grant of consent to operate with the condition to provide hood & suction arrangement followed by a duct raised well above the roof levels (at least 2.0 meter above roof level) to channelize the process emissions within 06 months. Inform to DJB regarding ground water extraction. 
	Issue consent to operate with the condition to provide hood & suction arrangement followed by a duct raised well above the roof levels (at least 2.0 meter above roof level) to channelize the process emissions and submit an compliance report on an affidavit within 06 months. Inform to DJB regarding ground water extraction. 

	57
	35656  
	18-11-2010
	SHREE BANKEY BEHARI EXPORTS LTD
	C-43/4, LAWRENCE ROAD INDUSTRIAL AREA
	Lawrence Road Industrial Area
	Orange Renewal
	DALL MILL.
	20-12-2010 : Details of case: CTE : Not Applied Water Consumption : 350 ltr/day Waste Water generation : (a) Domestic effluent: 150 ltr/day (b) Trade effluent: NIL Date of Commissioning: 1996 ETP : N/A Test Report (Water) within limit : N/A Test Report (Air) within limit :Yes NMR submitted : Yes ATR: CTR Issued on 24.10.2005 and valid upto 29.10.2007 with C.No. 13286. CTR applied on 03.12.2007 with Id.No. 24372.
	Recommended for grant of renewal of consent.
	Issue renewal  of consent.

	58
	35657  
	18-11-2010
	HARYANA FOOD & GEN MILLS
	C-42/4, LAWRENCE ROAD INDUSTRIAL AREA
	Lawrence Road Industrial Area
	Orange Renewal
	DALL MILL.
	20-12-2010 : Details of case: CTE : Not Applied Water Consumption : 350 ltr/day Waste Water generation : (a) Domestic effluent: 150 ltr/day (b) Trade effluent: NIL Date of Commissioning: 1979 ETP : N/A Test Report (Water) within limit : No Test Report (Air) within limit : N/A NMR submitted : To be submitted ATR: CTO issued on 24.10.2005.
	Recommended for grant of renewal of consent.
	Issue renewal  of consent.

	59
	35658  
	18-11-2010
	CHAITALI ENTERPRISES
	PLOT NO.142, POCKET-A, SECTOR-2, DSIDC BAWANA INDUSTRIAL AREA
	Bawana Industrial Area
	Orange Operate
	Mfg. of Plastic Granules
	08-12-2010 : CTE : Yes valid from 19.11.2009 to 18.11.2010 Water Consumption : 350 ltr/day Waste Water generation : (a) Domestic effluent: 200 ltr/day (b) Trade effluent: Nil Date of Commissioning:Oct-2010 ETP : N/A Test Report (Water) within limit :N/A Test Report (Air) within limit : N/A NMR submitted : N/A
	Recommended for grant of consent to operate with the condition to provide hood & suction arrangement followed by a duct raised well above the roof levels (at least 2.0 meter above roof level) to channelize the process emissions within 06 months. 
	Issue consent to operate with the condition to provide hood & suction arrangement followed by a duct raised well above the roof levels (at least 2.0 meter above roof level) to channelize the process emissions and submit an compliance report on an affidavit within 06 months.

	60
	35662  
	18-11-2010
	JAI CHAND STEELS
	S-51, PH-I, BADLI INDUSTRIAL ESTATE
	Badli Industrial Estate
	Orange Renewal
	MFG. OF COLD RE ROLLING OF S.S. SHEETS.
	20-12-2010 : Details of case: CTE : Valid upto 26.01.2007 Water Consumption : 50 ltr/day Waste Water generation : (a) Domestic effluent: 20 ltr/day (b) Trade effluent: NIL Date of Commissioning: 2003 ETP : N/A Test Report (Water) within limit : N/A Test Report (Air) within limit : N/A NMR submitted : NIL ATR: CTO (Renewal) granted.
	Recommended for grant of renewal of consent.
	Issue renewal  of consent  with the condition that capacity shall be less than 25 MT/day.

	61
	35668  
	18-11-2010
	MATHAROO MANUFACTURING COMPANY
	PLOT NO-195, POCKET-M, SEC-3 BAWANA INDUSTRIAL AREA
	Bawana Industrial Area
	Orange Operate
	Mfg. of Loundry machine and its parts and (engg. works)
	08-12-2010 : CTE : YES valid from 19.11.2009 to 18.11.2010. Water Consumption : 250 lpd Waste Water generation : (a) Domestic effluent: 100 lpd (b) Trade effluent: Nil Date of Commissioning: Oct 2007 ETP : NA Test Report (Water) within limit : NA Test Report (Air) within limit : NA NMR submitted : NA
	Recommended for grant of consent to operate. 
	Issue consent to operate. 

	62
	35669  
	18-11-2010
	C.S. ENGINEERING
	B-2, PH-III, DSIDC COMPLEX BADLI INDUSTRIAL ESTATE
	Badli Industrial Estate
	Orange Renewal
	METAL POLISHING AND ELECTROPLATING WORK.
	20-12-2010 : Details of case: CTE : Not Applied Water Consumption : 600 ltr/day Waste Water generation : (a) Domestic effluent: 250 ltr/day (b) Trade effluent: 150 ltr/day Date of Commissioning: Jan, 2000 ETP : Proposed Test Report (Water) within limit : N/A Test Report (Air) within limit : N/A NMR submitted : N/A ATR: CTO applied on 18.11.2010
	Recommended for grant of renewal of consent and authorization under HWM Rules.
	Issue renewal  of consent and authorization under HWM Rules.

	63
	35670  
	18-11-2010
	AGGARWAL PLASTIC MFG. CO.
	91, PKT-F, SEC-5, DSIDC COMPLEX BAWANA INDUSTRIAL AREA
	Bawana Industrial Area
	Orange Operate
	Mfg. of PVC Compound and Footwears by injection moulding.
	08-12-2010 : CTE : Yes valid from 19.11.2009 to 18.11.2010. Water Consumption : 120 lpd Waste Water generation : (a) Domestic effluent: 50 lpd (b) Trade effluent: Nil Date of Commissioning: April 2010 ETP : NA Test Report (Water) within limit : NA Test Report (Air) within limit : NA NMR submitted : NA
	Recommended for grant of consent to operate with the condition to provide hood & suction arrangement followed by a duct raised well above the roof levels (at least 2.0 meter above roof level) to channelize the process emissions within 06 months. 
	Issue consent to operate with the condition to provide hood & suction arrangement followed by a duct raised well above the roof levels (at least 2.0 meter above roof level) to channelize the process emissions and submit an compliance report on an affidavit within 06 months.

	64
	35672  
	18-11-2010
	K.R. INDUSTRIES
	H-31, UDYOG NAGAR INDUSTRIAL AREA,ROHTAK ROAD
	Udyog Nagar Industrial area
	Orange Renewal
	MFG OF PVC FOOTWEARS
	08-12-2010 : Details: CTE :Not applied Water Consumption : 0.9 KLD Waste Water generation : (a) Domestic effluent: 0.4 KLD (b) Trade effluent: NIL Date of Commissioning:1994 ETP :N/A Test Report (Water) within limit :N/A Test Report (Air) within limit : N/A NMR submitted : Yes, 03.11.2010 GW: NIL ATR/Remarks: CTO Issued valid upto 20.07.2006 vide consent order no. 7422. Applied for CTO_R on 24.11.2006 vide ID no 19923.
	Inspection be conducted.
	Inspection be conducted to check the exact raw material being used in view of negative list.

	65
	35673
	18-11-2010
	WELCOME PRESS
	A-65, PHASE-I
	NARAINA INDUSTRIAL AREA PH-I
	Orange Renewal
	offset printing (without trade effluent discharge)
	 Details of case: CTE : not applied Water Consumption : 0.20 KLD l Waste Water generation : (a) Domestic effluent: 175 ltr/day (b) Trade effluent: NIL Date of Commissioning: 1997 ETP : N/A Test Report (Water) within limit : Not submitted Test Report (Air) within limit : N/A NMR submitted :N/A ATR: GW: 200 LPD
Earlier CTO issued valid upto 13.11.2005 and CTO_R issued valid upto 13.11.2010.
	Ask the unit to apply for consent to establish. Inform to DJB regarding ground water extraction. 
	In the meantime, unit has applied for consent to establish for changed address. Issue consent to operate and consent to establish. Inform to DJB regarding ground water extraction. Inform Enquiry Counter to correct its record.

	66
	35675  
	18-11-2010
	CRESCENT ENGG. CORPORATION
	D-3, DSIDC ENGG. COMPLEX PHASE-I, MANGOL PURI INDUSTRIAL AREA
	Mangolpuri Industrial Area
	Orange Operate
	MFG. OF WATER/AIR CHILLING PLANT (ENGG. WORK) AND OTHER REFRIGERATION AND MECHANICAL EQUIPMENTS.
	16-12-2010 : Details of case: CTE : valid upto 18.11.2010 Water Consumption : 250 ltr/day Waste Water generation : (a) Domestic effluent: 200 ltr/day (b) Trade effluent: NIL: Date of Commissioning: 2009 ETP : N/A Test Report (Water) within limit : Test Report (Air) within limit : NMR submitted : N/A ATR: CTE issued on 19.11.2009.
	Inspection be conducted.
	Inspection be conducted in view of negative list.

	67
	35684  
	19-11-2010
	TOP TYRE SOLES
	BC-241, PH-II, MANGOLPURI INDUSTRIAL AREA
	Mangolpuri Industrial Area
	Orange Operate
	RE TREADING OF OLD TYRE.
	20-12-2010 : CMC decision: 27.08.2010 Issue SCN u/s 31(A) of the Air Act for closure of the unit. Details of case: CTE : Pending. Water Consumption : 50 ltr/day Waste Water generation : (a) Domestic effluent: 20 ltr/day (b) Trade effluent: NIL Date of Commissioning: Dec, 2007 ETP : N/A Test Report (Water) within limit : Test Report (Air) within limit : NMR submitted : N/A ATR: CTE applied on 05.10.2006. CTO applied on 19.11.2010.
	Ask the unit to submit Bank Guarantee of Rs. 50,000 under Air Act valid for one year. If unit submits the Bank Guarantee, consent to operate  be issued.
	Ask the unit to submit Bank Guarantee of Rs. 50,000 under Air Act valid for one year. If unit submits the Bank Guarantee, consent to operate  be issued.

	68
	35685  
	19-11-2010
	BALDEV METALS PVT. LTD
	B-22, MAYAPURI INDUSTRIAL AREA PHASE-I
	Mayapuri Industrial Area
	Orange Renewal
	MFG OF ALUMINIUM ALLOY METAL
	20-12-2010 : ATR Remarks CTE: not applied Water consumption: 400 LPd Waste Water Generation : (a) Domestic effluent: 200 LPd (B) Trade eff: nil Date of commissioning : 2000 ETP: NA Test report (Water): NA TEst report (AIR): yes within limit (Stack attached to suction hood on furnace) NMR Submitted: submitted, dated 16.08.2010 (DG set of 62.5 KVA) GW: nil CTO_R issued valid upro 29.07.2007 Applied for CTO_R on 08.8.2007 vide ID no 23045
	Decision be deferred till DDA clarification.
	Decision be deferred till DDA clarification.

	69
	35686  
	19-11-2010
	RAJDHANI FLOUR MILLS LTD
	C-34/3, LAWRENCE ROAD INDUSTRIAL AREA
	Lawrence Road Industrial Area
	Orange Operate
	FOOD PROCESSING OF VARIOUS FOOD ITEMS.
	29-12-2010 : Details of case: CTE : Valid upto 18.11.2010 Water Consumption : 600 ltr/day Waste Water generation : (a) Domestic effluent: 250 ltr/day (b) Trade effluent:NIL Date of Commissioning: Dec,2007 ETP : N/A Test Report (Water) within limit : N/A Test Report (Air) within limit : Yes NMR submitted : Submitted ATR: CTE Issued on 19.11.2009 with C.No. 21986.
	Recommended for grant of consent to operate. 
	Issue consent to operate. 

	70
	35687  
	19-11-2010
	SHIVAM INDUSTRIES
	C-35/15, LAWRENCE ROAD INDUSTRIAL AREA
	Lawrence Road Industrial Area
	Orange Renewal
	DALL MILL.
	20-12-2010 : Details of case: CTE : Not Applied Water Consumption : 450 ltr/day Waste Water generation : (a) Domestic effluent: 200 ltr/day (b) Trade effluent: NIL Date of Commissioning: 1998 ETP : N/A Test Report (Water) within limit : Not Applied. Test Report (Air) within limit : N/A NMR submitted : To be Subnitted. ATR: 11.10.2007 CTO (Renewal) applied.
	Recommended for grant of renewal of consent.
	Noise monitoring report already submitted. Issue renewal of consent.

	71
	35689  
	19-11-2010
	TONY PLASTIC (INDIA)
	138, PKT-N, SEC-1, DSIDC BAWANA INDUSTRIAL AREA
	Bawana Industrial Area
	Orange Operate
	Mfg. of plastic Products by injection moulding Machine.
	08-12-2010 : CTE : YES valid from 19.11.2009 to 18.11.2010. Water Consumption : 200 LPD Waste Water generation : (a) Domestic effluent: 160 LPD (b) Trade effluent: NIL Date of Commissioning: 1st OCT 20009 ETP : NA Test Report (Water) within limit :NA Test Report (Air) within limit : NA NMR submitted : NA
	Recommended for grant of consent to operate with the condition to provide hood & suction arrangement followed by a duct raised well above the roof levels (at least 2.0 meter above roof level) to channelize the process emissions within 06 months. 
	Issue consent to operate with the condition to provide hood & suction arrangement followed by a duct raised well above the roof levels (at least 2.0 meter above roof level) to channelize the process emissions and submit an compliance report on an affidavit within 06 months.

	72
	35690  
	19-11-2010
	BHARAT EXPORTS
	D-14, S.M.A INDUSTRIAL AREA,G.T. KARNAL ROAD
	S.M.A Industrial Area
	Orange Operate
	MANUFACTURE OF S.S. UTENSILS/CUTLERY (WITH BUFFING).
	20-12-2010 : Details of case: CTE : Valid upto 04.04.2006 Water Consumption : 1.0 Kilo ltr/day Waste Water generation : (a) Domestic effluent: 0.5 Kilo ltr (b) Trade effluent: NIL Date of Commissioning: june, 2008 ETP : N/A Test Report (Water) within limit : N/A Test Report (Air) within limit : N/A NMR submitted : To be submitted. Ground water: 1000 ltr/day ATR: CTO Applied on 19.11.2010.
	Issue SCN for refusal of consent as unit has not submitted the extended Bank Guarantee in compliance of earlier CMC's decision. Inform to DJB regarding ground water extraction. 
	Issue SCN for refusal of consent as unit has not submitted the extended Bank Guarantee in compliance of earlier CMC's decision. Inform to DJB regarding ground water extraction. 

	73
	35691  
	22-11-2010
	GEETA ENTERPRISES
	S-15, PH-I, BADLI INDUSTRIAL ESTATE
	Badli Industrial Estate
	Orange Renewal
	PAPER PRINTING WORKS (WITHOUT TRADE EFFLUENT DISHARGE).
	20-12-2010 : Details of case: CTE : Not Applied. Water Consumption : 200 ltr/day Waste Water generation : (a) Domestic effluent: 200 ltr/day (b) Trade effluent: NIL Date of Commissioning: 2003 ETP : N/A Test Report (Water) within limit : N/A Test Report (Air) within limit : N/A NMR submitted : N/A ATR: CTO issued on 10.08.2004 and vald upto 04.08.2009 with C.No.- 11176.
	Recommended for grant of renewal of consent and authorization under HWM Rules.
	Issue renewal  of consent and authorization under HWM Rules.

	74
	35694  
	22-11-2010
	AHAAR CONSUMER PRODUCTS PVT. LTD.
	G-37 AND G-37/1, LAWRENCE ROAD INDUSTRIAL AREA
	Lawrence Road Industrial Area
	Orange Operate
	MFG. OF ATTA, DALL AND BESAN
	20-12-2010 : Details of case: CTE : Valid upto 04.04.2011 Water Consumption : 350 ltr/day Waste Water generation : (a) Domestic effluent: 150 ltr/day (b) Trade effluent: NIL Date of Commissioning: April,2010 ETP : N/A Test Report (Water) within limit : N/A Test Report (Air) within limit : Yes NMR submitted : N/A Ground water: 300 ltr/day ATR: CTE Issued on 05.04.2010 and valid upto 04.04.2011 with C.No. 23235.
	Recommended for grant of consent to operate. Inform to DJB regarding ground water extraction. 
	Issue consent to operate. Inform to DJB regarding ground water extraction. 

	75
	35695  
	22-11-2010
	KFM AGRO PVT. LTD.
	G-35 & G-36/1, LAWRENCE ROAD INDUSTRIAL AREA
	Lawrence Road Industrial Area
	Orange Operate
	MANUFACTURING OF ATTA DALL AND BESAN.
	20-12-2010 : Details of case: CTE : Valid upto 04.04.2011 Water Consumption : 350 ltr/day Waste Water generation : (a) Domestic effluent: 150 ltr/day (b) Trade effluent: NIL Date of Commissioning: April,2010 ETP : N/A Test Report (Water) within limit : N/A Test Report (Air) within limit : N/A NMR submitted : N/A ATR: CTE Issued on 05.04.2010 with C.No. 23237.
	Recommended for grant of consent to operate. 
	Issue consent to operate. 

	76
	35699  
	22-11-2010
	SHARP MENTHOL INDIA LTD
	C-03, SMA INDUSTRIAL AREA
	S.M.A Industrial Area
	Orange Operate
	MENTHOL AND ITS ALLIED PRODUCT
	16-12-2010 : Details of case: CTE : Applied on 19.07.2010 Water Consumption : 600 ltr/day Waste Water generation : (a) Domestic effluent: 500 ltr/day (b) Trade effluent: NIL Date of Commissioning: 2000 ETP : N/A Test Report (Water) within limit : N/A Test Report (Air) within limit : Yes NMR submitted : Submitted ATR: CTE applied on 19.072010 with id.No. 34550.
	Case be put up after clarification sought from CPCB in CTE application.
	Expedite clarification from CPCB.

	77
	35702  
	22-11-2010
	JAIN STEEL (UNIT-2)
	A-1, GROUP WAZIRPUR INDUSTRIAL AREA
	Wazirpur Industrial Area
	Orange Operate
	BUFFING ON S.S. UTENSILS.
	23-12-2010 : CMC decision: as per decision by competent authority, closure directions issued on 27.10.2010. Details of case: CTE :valid upto 31.05.2011 Water Consumption : 0.05 Kilo ltr/day Waste Water generation : (a) Domestic effluent: 0.02 Kilo ltr/day (b) Trade effluent: NIL Date of Commissioning: 2008 ETP : N/A Test Report (Water) within limit : N/A Test Report (Air) within limit : Yes NMR submitted : No ATR: closure directions issued on 27.10.2010. Reply received on 25.11.2010.
	Closure directions already revoked. Recommended for grant of consent to operate. 
	Issue consent to operate. 

	78
	35703  
	22-11-2010
	MAHABIR METAL (UNIT-2)
	A-1(BACKSIDE), GROUP, WAZIRPUR INDUSTRIAL AREA
	Wazirpur Industrial Area
	Orange Operate
	BUFFING ON S.S. UTENSILS.
	23-12-2010 : Details of case: CTE : Valid upto 26.10.2010 Water Consumption : 0.05 Kilo ltr/day Waste Water generation : (a) Domestic effluent: 20 ltr/day (b) Trade effluent: NIL Date of Commissioning: 2008 ETP : N/A Test Report (Water) within limit : N/A Test Report (Air) within limit : Yes NMR submitted : Yes ATR: CTE issued on 27.10.2009 and valid upto 26.10.2010 with C.No. 21623.
	Closure directions already revoked. Recommended for grant of consent to operate. 
	Issue consent to operate. 

	79
	35711  
	22-11-2010
	COSMO METAL FINISHING CO.
	T-31, OKHLA INDUSTRIAL AREA, PHASE-II
	Okhla Industrial Area
	Orange Renewal
	METAL FINISHING WORK.
	07-12-2010 : DETAILS OF THE CASE CTE : Not Required Water Consumption : 1500 l/d Waste Water generation : (a) Domestic effluent: 500 l/d (b) Trade effluent: 1000 l/d Date of Commissioning: 1979 ETP : Yes Test Report (Water) within limit : Yes Test Report (Air) within limit : NA NMR submitted : Submitted, dated 31.08.10 GW : NIL ATR/REMARKS 1. CTO and CTR valid upto 10.06.04 and 1.06.07 vide CNO 165 and 11109 respectively. 2. Applied for CTR on 30.07.07 vide id no 22866. 3. Applied for HWM renewal on 14.07.06 vide id 2831.
	Recommended for grant of renewal of consent. Ask the unit to apply for fresh authorization under HWM Rules.
	Issue renewal  of consent. Ask the unit to apply for fresh authorization under HWM Rules.

	80
	35712  
	22-11-2010
	NIRMALA PLASTIC INDUSTRIES
	PLOT NO.340-A/7,GALI NO.1-A, FRIENDS COLONY INDUSTRIAL AREA
	Friends Colony Industrial Area
	Orange Renewal
	Manufacturing of PVC Compound.
	07-12-2010 : CTE :No Water Consumption :100 L/D Waste Water generation : (a) Domestic effluent: 20 L/D (b) Trade effluent: Nil Date of commissioning:2006.(existing) ETP : NA Test Report (Water) within limit : NA Test Report (Air) within limit : NA NMR submitted : NA G.W.: Nil CTO ganted valid upto 05.12.2007.
	Recommended for grant of renewal of consent with the condition to provide hood & suction arrangement followed by a duct raised well above the roof levels (at least 2.0 meter above roof level) to channelize the process emissions within 06 months. 
	Issue renewal  of consent with the condition to provide hood & suction arrangement followed by a duct raised well above the roof levels (at least 2.0 meter above roof level) to channelize the process emissions and submit an compliance report on an affidavit within 06 months.

	81
	35713  
	22-11-2010
	S. K. M. WIRE INDUSTRIES
	1/424/36, GALI NO.1-B, FRIENDS COLONY INDUSTRIAL AREA, SHAHDARA
	Friends Colony Industrial Area
	Orange Renewal
	Copper Wire Drawing with Super Enamelling.
	08-12-2010 : CTE :Applied for CTE on 27.05.2008. Water Consumption :150 L/D Waste Water generation : (a) Domestic effluent: 30 L/D (b) Trade effluent: Nil Date of Commissioning:2002 (existing) ETP : NA Test Report (Water) within limit : NA SMR: yes,28.07.2005. Test Report (Air) within limit : NA NMR submitted : NA(DG set:Nil) G.W.: Nil
	Ask the unit to submit an affidavit w.r.t. the rectification of the deficiencies regarding hazardous waste management and a Bank Guarantee of Rs. One Lakh each under Air Act and HWM Rules valid for one year. If unit submits the aforesaid documents, closure directions be revoked and consent to operate and consent to establish be issued.
	Ask the unit to submit an affidavit w.r.t. the rectification of the deficiencies regarding hazardous waste management and a Bank Guarantee of Rs. One Lakh each under Air Act and HWM Rules valid for one year. If unit submits the aforesaid documents, closure directions be revoked and consent to operate and consent to establish be issued.

	82
	35716  
	23-11-2010
	GANGA ROLLER FLOUR MILLS P. LTD
	B-37, LAWRENCE ROAD INDUSTRIAL AREA
	Lawrence Road Industrial Area
	Orange Renewal
	MANUFACTUIRNG OF ATTA SUJI MAIDA DALIA CATTEL FEED.
	20-12-2010 : Details of case: CTE : Not Applied Water Consumption :9.0kld Waste Water generation : (a) Domestic effluent: 2.5kl/day (b) Trade effluent: Nil Date of Commissioning:1974 ETP : N/A Test Report (Water) within limit : N/A Test Report (Air) within limit : Yes NMR submitted : Yes Ground Water: 8.25 Kilo ltr/day ATR: CTO (R ) valid upto 29.09.2010 CTO (R ) valid upto 26.11.2010
	Recommended for grant of renewal of consent. Inform to DJB regarding ground water extraction. 
	Issue renewal  of consent. Inform to DJB regarding ground water extraction. 

	83
	35718  
	23-11-2010
	ALCIT (INDIA) PVT. LTD
	A-17, LAWRENCE ROAD INDUSTRIAL AREA
	Lawrence Road Industrial Area
	Orange Operate
	MANUFACTURING OF ALLERGENS VACCINES.
	20-12-2010 : Details of case: CTE : Valid upto 18.12.2009 Water Consumption : 500 ltr/day Waste Water generation : (a) Domestic effluent: 300 ltr/day (b) Trade effluent: NIL Date of Commissioning: 2006 ETP : N/A Test Report (Water) within limit : N/A Test Report (Air) within limit : N/A NMR submitted : N/A ATR: CTE issued on 19.12.2003 with C.No. 19416. CTR applied on 27.04.2007 with Id.no. 21144.
	Inspection be conducted.
	File be put up administratively w.r.t. Hazardous Mico-Organism Genetically Engineered Organisms of Cells Rules, 1989.

	84
	35720  
	23-11-2010
	V. S. INDUSTRIES
	D-20, GTK ROAD, S.M.A INDUSTRIAL AREA
	S.M.A Industrial Area
	Orange Renewal
	HOT ROLLING OF S.S. PATTA.
	20-12-2010 : Deatils of case: CTE : Not Applied Water Consumption : 0.8 Kilo ltr/day Waste Water generation : (a) Domestic effluent: 0.1 Kilo ltr/day (b) Trade effluent: NIL Date of Commissioning: 2002 ETP : N/A Test Report (Water) within limit : N/A Test Report (Air) within limit : Yes NMR submitted : N/A Ground water: 800 ltr/day ATR: CTO Issued on 20.09.2004 and valid upto 12.09.2007 with C.No. 11742. CTR applied on 03.09.2007.
	Recommended for grant of renewal of consent with the condition that capacity shall be less than 25 MT/day. Inform to DJB regarding ground water extraction. 
	Issue renewal  of consent with the condition that capacity shall be less than 25 MT/day. Inform to DJB regarding ground water extraction. 

	85
	35721  
	23-11-2010
	SUNAM METAL INDUSTRIES
	A-132, WAZIRPUR INDUSTRIAL AREA
	Wazirpur Industrial Area
	Orange Operate
	ALUMINUM SHEET/CIRCLE.
	20-12-2010 : Details of case: CTE : Applied on 30.11.2009 Water Consumption : 0.02 Kilo ltr/day Waste Water generation : (a) Domestic effluent: 0.01 Kilo ltr/day (b) Trade effluent: NIL Date of Commissioning: Dec,2009 ETP : N/A Test Report (Water) within limit : N/A Test Report (Air) within limit : Yes NMR submitted : N/A ATR: CTE applied on 30.11.2009 with Id.No. 32048.
	Decision be deferred till DDA clarification.
	Decision be deferred till DDA clarification.

	86
	35728  
	24-11-2010
	KRISHNA INSULATIONS
	A-5/15 JHILMIL INDUSTRIAL AREA
	Jhilmil Industrial Area
	Orange Renewal
	Copper Wire Drawing with super enameling.
	07-12-2010 : CTE :No Water Consumption :170 L/D Waste Water generation : (a) Domestic effluent: 100 L/D (b) Trade effluent: Nil Date of Commissioning:Feb 1991. ETP : NA Test Report (Water) within limit : NA SMR:Yes,23.11.2010. Test Report (Air) within limit : NA NMR submitted : Yes, 12.10.2010. D.G set: 125 KVA. CTR granted valid upto 25.04.2008. G.W.: Nil.
	Recommended for grant of renewal of consent and authorization under HWM Rules.
	Issue renewal  of consent and authorization under HWM Rules.

	87
	35729  
	24-11-2010
	SHIKHA STEELS
	A-92, WAZIRPUR INDUSTRIAL AREA
	Wazirpur Industrial Area
	Orange Operate
	MFG. OF STAINLESS UTENSILS WITH BUFFING.
	23-12-2010 : Details of case: CTE : Valid upto 27.05.2010 Water Consumption : 0.02 kl/day Waste Water g eneration : (a) Domestic effluent: 0.01 kl/day (b) Trade effluent: Nil Date of Commissioning:2008 ETP : N/A Test Report (Water) within limit : N/A Test Report (Air) within limit : Yes NMR submitted : No submitted ATR: CTE granted on 28.05.2009. CTO dated 02.06.2009 refused .
	Recommended for grant of consent to operate. 
	Issue consent to operate. 

	88
	35731  
	24-11-2010
	DEVI STEEL
	A-97/1 WAZIRPUR INDUSTRIAL AREA
	Wazirpur Industrial Area
	Orange Operate
	MFG. OF UTENSILS WITH BUFFING AND POLISHING.
	20-12-2010 : Deatils of case: CTE : Valid upto 14.12.2010 Water Consumption : 200 ltr/day Waste Water generation : (a) Domestic effluent: 200 ltr/day (b) Trade effluent: NIL Date of Commissioning: 2008 ETP : N/A Test Report (Water) within limit : N/A Test Report (Air) within limit : Yes NMR submitted : N/A ATR: CTE Issued o 15.12.2009 with C.No. 22372
	Ask the unit to submit Bank Guarantee of Rs. 50,000 under Air Act valid for one year and to submit proof of CETP membership. If unit submits the requisite documents, consent to operate  be issued.
	Ask the unit to submit Bank Guarantee of Rs. 50,000 under Air Act valid for one year and to submit proof of CETP membership. If unit submits the requisite documents, consent to operate  be issued.

	89
	35732  
	25-11-2010
	G.K.S. BATTERY INDUSTRIES
	PLOT NO.-136, POCKET-C, SEC-3, DSIDC BAWANA INDUSTRIAL AREA
	Bawana Industrial Area
	Orange Operate
	Job Work of Pasting and Charging of Auto Battery.
	08-12-2010 : CTE :YES Water Consumption :200 LPD Waste Water generation : (a) Domestic effluent: 150 LPD (b) Trade effluent: NIL Date of Commissioning:Nov 2010 ETP : na Test Report (Water) within limit : na Test Report (Air) within limit : na NMR submitted : na earlier decisions 09.09.2009 Issue Consent to Establish and subsequently inspection be conducted to know the present status of the unit. 27.08.2010 Consent revoked w.r.t M/s G.K.S. Battery. Issue closure directions to M/s BGS Industries.
	Implement the decision taken w.r.t. CTE application.
	Implement the decision taken w.r.t. CTE application.

	90
	35733  
	25-11-2010
	VIJAY ANAND & ASSOCIATES PVT. LTD.
	B-74, PHASE-I, OKHLA INDUSTRIAL AREA
	Okhla Industrial Area
	Orange Operate
	MANUFACTURING OF WOODEN FURNITURE.
	15-12-2010 : Earlier Committee Decision 14.08.08 (Green) Ask the unit to apply CTE under Orange Category as the unit generates hazardous waste from the said activity. Consent to Operate(Renewal) application under Green Category becomes infuctuous in view of the above reason. 07.05.10 (Orange) Issue consent to establish. Ask the unit to apply for authorization under HWM Rules. Remarks / Action Taken / ATR CTE : issued on 16.06.10 vide CNO 24022 Water Consumption : 0.3 KL/d Waste Water generation : (a) Domestic effluent: 0.2 Kl/d (b) Trade effluent: Nil Date of Commissioning: 1995 ETP : NA Test Report (Water) within limit : NA Test Report (Air) within limit : NA NMR submitted : submitted GW : NIL 1. D G Set: 62.5 KVA and NMR submitted dated 22.07.10 2. CTO (Green) issued valid upto 13.03.05 with CNO 743. 3. CTR (Green) Cancealed with cancealation no. 161 on 01.09.08 4. CTE (Orange) issued on 16.06.10 with CNO 24022 Letter was issued to the unit to apply for authorization under HWM Rule on 16.06.10 Reply received on 15.07.10
	Issue suitable letter to the unit asking to apply for authorization under HWM Rules.
	Issue suitable letter to the unit asking to apply for authorization under HWM Rules.

	91
	35734  
	25-11-2010
	BADDI FOILS PVT. LTD.
	S-86, PHASE-II, OKHLA INDUSTRIAL AREA
	Okhla Industrial Area
	Orange Operate
	ROTOGRAVURE PRINTING WITHOUT WASHING.
	06-12-2010 : EARLIER CMC DECISION 05.10.09 Issue consent to establish ATR/REMARK CTE : issued on 05.11.09 Water Consumption : 1 KL/D on Application Form and 0.5 on Affidavit Waste Water generation : (a) Domestic effluent: 0.4 Kl/d (b) Trade effluent: NIL Date of Commissioning : 2008 ETP : N/A Test Report (Water) within limit : N/A Test Report (Air) within limit : N/A NMR submitted : submitted dated 07.10.10 CTO issued valid upto 27.10.09 vide ID 21631.
	Inspection be conducted.
	Inspection be conducted.

	92
	35736  
	25-11-2010
	V.K. ENTERPRISES
	PLOT NO-35, POCKET-I, SEC-2, DSIDC INDUSTRIAL COMPLEX BAWANA INDUSTRIAL AREA
	Bawana Industrial Area
	Orange Operate
	Mfg. of Plastic Dana and Plastic Moulded Goods (Injection Moulding)
	08-12-2010 : CTE :YES valid from 15.12.2009 to 14.12.2010 Water Consumption :200 LPD Waste Water generation : (a) Domestic effluent: 150 LPD (b) Trade effluent: NIL Date of Commissioning:SEPT 2009 ETP : NA Test Report (Water) within limit : NA Test Report (Air) within limit : NA NMR submitted : NA
	Recommended for grant of consent to operate with the condition to provide hood & suction arrangement followed by a duct raised well above the roof levels (at least 2.0 meter above roof level) to channelize the process emissions within 06 months. 
	Issue consent to operate with the condition to provide hood & suction arrangement followed by a duct raised well above the roof levels (at least 2.0 meter above roof level) to channelize the process emissions and submit an compliance report on an affidavit within 06 months.

	93
	35737  
	25-11-2010
	SINGHLA TECHNOPLAST
	D-1563, DSIDC, NARELA INDUSTRIAL AREA
	Narela Industrial Area
	Orange Operate
	MFG. OF PLASTIC PRODUCTS (MOULDED GOODS),
	16-12-2010 : Deatils of case: CTE : Valid upto 25.11.2010 Water Consumption : 150 ltr/day Waste Water generation : (a) Domestic effluent: 90 ltr/day (b) Trade effluent: NIL Date of Commissioning: 09.04.2007 ETP : N/A Test Report (Water) within limit : N/A Test Report (Air) within limit : N/A NMR submitted : N/A ATR: CTE Issued on 26.11.2009 with C.No. 22070.
	Recommended for grant of consent to operate with the condition to provide hood & suction arrangement followed by a duct raised well above the roof levels (at least 2.0 meter above roof level) to channelize the process emissions within 06 months. 
	Issue consent to operate with the condition to provide hood & suction arrangement followed by a duct raised well above the roof levels (at least 2.0 meter above roof level) to channelize the process emissions and submit an compliance report on an affidavit within 06 months.

	94
	35741  
	25-11-2010
	HIMGIRI ELECTRICALS
	PLOT NO.51, SEC-3, PKT-J, BAWANA INDUSTRIAL AREA
	Bawana Industrial Area
	Orange Operate
	Mfg. of PVC Pipes and Fittings.
	08-12-2010 : CTE :YES valid from 08.09.2005 to 07.09.2006 CTO applied on 11-9-2006 Water Consumption :100 LPD Waste Water generation : (a) Domestic effluent: 80 LPD (b) Trade effluent: NIL Date of Commissioning:OCT 2005 ETP : NA Test Report (Water) within limit : NA Test Report (Air) within limit : NA NMR submitted : NA
	Recommended for grant of consent to operate with the condition to provide hood & suction arrangement followed by a duct raised well above the roof levels (at least 2.0 meter above roof level) to channelize the process emissions within 06 months. 
	Issue consent to operate with the condition to provide hood & suction arrangement followed by a duct raised well above the roof levels (at least 2.0 meter above roof level) to channelize the process emissions and submit an compliance report on an affidavit within 06 months.

	95
	35745  
	26-11-2010
	A.R. ENTERPRISES
	B-44, JHIMIL IND. AREA, G.T. ROAD, SHAHDARA
	Jhilmil Industrial Area
	Orange Renewal
	Mfg. of Aluminum Circles.
	07-12-2010 : CTE : granted valid upto 10.10.2003. Water Consumption :350 L/D Waste Water generation : (a) Domestic effluent: 250 L/D (b) Trade effluent: Nil Date of Commissioning:JAN 2003. ETP : NA Test Report (Water) within limit : NA ECS/SMR:Yes,, Oct 2010. Test Report (Air) within limit : Yes NMR submitted : NA D.G.set :125 KVA (Iin defunct condition). G.W.: Nil.
	Recommended for grant of renewal of consent and authorization under HWM Rules be made infructuous as it is not a hazardous waste generating activity.
	Inspection be conducted.

	96
	35746  
	26-11-2010
	PANACEA BIOTEC LTD
	A 239-A 242 OKHLA INDUSTRIAL AREA PHASE-I DELHI
	Okhla Industrial Area
	Orange Operate
	VACCINE AND POLIO DROPS.
	15-12-2010 : Earlier Committee Decision BMW Committee-3 15-09-09 The committee decided that a complete status of the inspection etc. along with the authorization under BMW Rules should be placed in the next meeting of the Committee .It was also decided that the applications received under Water and Air Act may be sent to the concerned CMC along with copy of inspection report for taking appropriate decisions by CMC. Remarks / Action Taken / ATR CTE : applied Water Consumption : 63500 Lt/d Waste Water generation : (a) Domestic effluent: 3500Lt/d (b) Trade effluent: 6000Lt/d Date of Commissioning: Not menstioned ETP : Yes Test Report (Water) within limit : No Test Report (Air) within limit : Yes NMR submitted : Yes 1. D G Set: 2X 500 KVA and NMR submitted dated 11.08.10. 2. Unit consists boiler and SMR submitted dated 25.11.10. 3. Adequacy Report submitted dated October 2009 and Test Report dated 10.11.10 submitted 4. CTE applied on 27.11.09 vide ID no 24339. 5. CTO applied on 12.07.06 vide ID no 18754.
	Recommended for grant of consent to establish. Ask the unit to apply for authorization under HWM Rules.
	File be put up administratively w.r.t. Hazardous Mico-Organism Genetically Engineered Organisms of Cells Rules, 1989.

	97
	35747  
	26-11-2010
	GANPATI PACKAGING
	A-59, G.T.K. ROAD INDUSTRIAL AREA
	G.T. Karnal Road Industrial Area
	Orange Operate
	MFG. OF PLASTIC GOODS i.e. PLASTIC SHEET AND TUBES.
	20-12-2010 : Details of case: CTE :valid upto 31.05.2011 Water Consumption :120l/day Waste Water generation : (a) Domestic effluent: 100l/day (b) Trade effluent: Nil Date of Commissioning:2007 ETP : N/A Test Report (Water) within limit : N/A Test Report (Air) within limit : N/A NMR submitted : Yes ATR: CTE issued on 01.06.2010 and valid upto 31.05.2011 vide C.No. 23772.
	Recommended for grant of consent to operate with the condition to provide hood & suction arrangement followed by a duct raised well above the roof levels (at least 2.0 meter above roof level) to channelize the process emissions within 06 months. 
	Issue consent to operate with the condition to provide hood & suction arrangement followed by a duct raised well above the roof levels (at least 2.0 meter above roof level) to channelize the process emissions and submit an compliance report on an affidavit within 06 months.

	98
	35748  
	26-11-2010
	PANKAJ GUPTA & CO
	A-59, G.T.K. ROAD INDUSTRIAL AREA
	G.T. Karnal Road Industrial Area
	Orange Operate
	MFG. OF PLASTIC GOODS i.e. PLASTIC SHEET AND TUBES.
	20-12-2010 : Details of case: CTE : valid upto 31.05.2011 Water Consumption :100 l/day Waste Water generation : (a) Domestic effluent: 80l/day (b) Trade effluent: Nil Date of Commissioning:2008 ETP : N/A Test Report (Water) within limit : N/A Test Report (Air) within limit : N/A NMR submitted : Yes ATR: CTE issued on 01.06.2010 and valid upto 31.05.2011 vide C.No. 23801
	Recommended for grant of consent to operate with the condition to provide hood & suction arrangement followed by a duct raised well above the roof levels (at least 2.0 meter above roof level) to channelize the process emissions within 06 months. 
	Issue consent to operate with the condition to provide hood & suction arrangement followed by a duct raised well above the roof levels (at least 2.0 meter above roof level) to channelize the process emissions and submit an compliance report on an affidavit within 06 months.

	99
	35749  
	26-11-2010
	HIM MOTORS PVT. LTD.
	D-9, UDYOG NAGAR INDUSTRIAL AREA ROHTAK ROAD NAGLOI
	Udyog Nagar Industrial area
	Orange Renewal
	SHOW ROOM CUM REPAIRING AND SERVICING OF AUTOMOBILES CARA
	08-12-2010 : Earlier CMC Decision Decision on 27.04.2010 Issue SCN for refusal of consent on the basis of deficiencies noted during the inspection. Also inform to DJB regarding GW extraction. Decision on 19.08.2010 Consent Refused. Issue SCN u/s 33(A) of the Water Act, u/s 31(A) of the Air Act & u/s 5 of the EPA. ATR/Remarks CTE : Issued valid upto 11.06.2006 vide consent order no 12893 Water Consumption :5.5 KLD Waste Water generation : (a) Domestic effluent: 0.5 KLD (b) Trade effluent: 0.5 KLD Date of Commissioning:2006 ETP : YES, 24.11.2010 Test Report (Water) within limit :Yes Test Report (Air) within limit : Yes, Baking oven NMR submitted : Yes, 24.11.2010, 350 KVA SCN u/s 33(A) of the Water Act, u/s 31(A) of the Air Act & u/s 5 of the EPA issued to the unit on 18.10.2010 Earlier CTO Issued valid upto 30.04.2009 vide consent order no 16321. CTO_R refused on 18.10.2010 & refused no 2044. Unit is also apply for Renewal of Authorization under HWM Rules, on 26.11.2010.
	Inspection be conducted.
	Inspection be conducted.

	100
	35758  
	26-11-2010
	A.K.G. INDUSTRRIES
	87, PHASE II, BADLI INDUSTRIAL ESTATE
	Badli Industrial Estate
	Orange Operate
	MFG. OF STEEL CUTLERY (WITHOUT BUFFING).
	20-12-2010 : Details of case: CTE : Not Applied Water Consumption : 300 ltr/day Waste Water generation : (a) Domestic effluent: 250 ltr/day (b) Trade effluent: NIL Date of Commissioning: 2006 ETP : N/A Test Report (Water) within limit : N/A Test Report (Air) within limit : N/A NMR submitted : Yes ATR: CTO applied on 19.06.2006 with id.No. 18512.
	Inspection be conducted.
	Inspection be conducted.

	101
	35762  
	29-11-2010
	MANGAT RAM INDUSTRIES
	D-297, SECTOR-5, DSIDC BAWANA INDUSTRIAL AREA
	Bawana Industrial Area
	Orange Operate
	Flour Mill.
	08-12-2010 : CTE :YES valid from 15.04.2010 to 14.04.2011 Water Consumption :350 LPD(ground water) Waste Water generation : (a) Domestic effluent: 300 LPD (b) Trade effluent: NIL Date of Commissioning:1.2.2010 ETP : NA Test Report (Water) within limit : NA Test Report (Air) within limit : NA NMR submitted : NA earlier decisions 07.05.2010 Consent application be made infructuous as unit has again applied for CTE on 11.01.2010 which was decided by CMC in its meeting dated 16.03.2010
	Adequacy report of ECS submitted. Recommended for grant of consent to operate. Inform to DJB regarding ground water extraction. 
	Issue consent to operate. Inform to DJB regarding ground water extraction. 

	102
	35764  
	29-11-2010
	ORIENT CRAFT LTD.
	F-23/3, PHASE-II, OKHLA INDUSTRIAL AREA
	Okhla Industrial Area
	Orange Renewal
	MANUFACTURE AND EXPORT OF READYMADE GARMENTS WITHOUT WASHING
	06-12-2010 : DETAILS OF THE CASE CTE : NOT APPLIED Water Consumption : 3 KLD Waste Water generation : (a) Domestic effluent: 2 KLD (b) Trade effluent: NIL Date of Commissioning: 2004 ETP : NA Test Report (Water) within limit : NA Test Report (Air) within limit : Yes NMR submitted : dated 29.11.10 and 23.11.10 gw : NIL ATR/REMARKS 1. CTO valid upto 08.12.07 vide CNO 13301. 2. CTR applied on 04.12.07 vide id no 24395. 3. DG Set: 320 KVA and 140 KVA.
	Recommended for grant of renewal of consent.
	Issue renewal  of consent.

	103
	35765  
	29-11-2010
	SURYA PLASTIC UDYOG
	PLOT NO. F-37, PH-II MAYAPURI INDUSTRIAL AREA
	Mayapuri Industrial Area
	Orange Operate
	PVC PRODUCT DANA
	08-12-2010 : Details: CTE : issued valid upto 28.10.2010 Water Consumption :400 LPD Waste Water generation : (a) Domestic effluent: 200 LPD (b) Trade effluent: NIL Date of Commissioning:2007 ETP : N/A Test Report (Water) within limit : N/A Test Report (Air) within limit : N/A NMR submitted : N/A (No D.G. Set) GW: 400 LPD
	Recommended for grant of consent to operate with the condition to provide hood & suction arrangement followed by a duct raised well above the roof levels (at least 2.0 meter above roof level) to channelize the process emissions within 06 months. Inform to DJB regarding ground water extraction. 
	Issue consent to operate with the condition to provide hood & suction arrangement followed by a duct raised well above the roof levels (at least 2.0 meter above roof level) to channelize the process emissions and submit an compliance report on an affidavit within 06 months. Inform to DJB regarding ground water extraction. 

	104
	35774  
	29-11-2010
	SHEELA FABRICS
	PLOT NO O-79, POCKET-H, SECTOR-1, DSIDC BAWANA INDUSTRIAL AREA
	Bawana Industrial Area
	Orange Operate
	Mfg. of Plastic Dana and Plastic Products.
	08-12-2010 : CTE :YES valid from 2.12.2009 to 1.12.2010 Water Consumption :200 LPD(ground water) Waste Water generation : (a) Domestic effluent: 100 LPD (b) Trade effluent: NIL Date of Commissioning:dec 2009 ETP : NA Test Report (Water) within limit : NA Test Report (Air) within limit : NA NMR submitted : NA
	Recommended for grant of consent to operate with the condition to provide hood & suction arrangement followed by a duct raised well above the roof levels (at least 2.0 meter above roof level) to channelize the process emissions within 06 months. Inform to DJB regarding ground water extraction. 
	Issue consent to operate with the condition to provide hood & suction arrangement followed by a duct raised well above the roof levels (at least 2.0 meter above roof level) to channelize the process emissions and submit an compliance report on an affidavit within 06 months. Inform to DJB regarding ground water extraction. 

	105
	35776  
	29-11-2010
	INDIAN OIL CORPORATION LTD
	BIJWASAN (HOOK-UP MATHURA-JALANDHAR PIPELINE WITH TIKRIKALAN
	Najafgarh Road Industrial Area
	Orange Renewal
	TRANSPORATION OF PETROLEUM PRODUCT THROUGH UNDERGROUND
	08-12-2010 : Details: CTE : Not applied Water Consumption :11 KLD Waste Water generation : (a) Domestic effluent: NIL (b) Trade effluent: NIL Date of Commissioning:1982 ETP : N/A Test Report (Water) within limit : N/A Test Report (Air) within limit : Yes (fire fighting engine) NMR submitted :yes dated 19.10.2010 (D.G. Set of 200 KVA) GW: 11 KLD ATR/Remarks: Applied for CTO_R on 16.01.2008 vide ID no 24762. CTO issued twice valid upto 31.07.2004 &26.08.2007 respectively for the activity of boosting pump station
	Ask the unit to clarify whether the consent is being sought for the pipeline or for the boosting pump station. Inform to DJB regarding ground water extraction. 
	Issue renewal of consent. Old consent application be made infructuous.

	106
	35777  
	30-11-2010
	JAYPEE VASANT CONTINENTAL
	BASANT LOK, VASANT VIHAR
	SOUTH WEST
	Orange Renewal
	HOTEL
	08-12-2010 : Details: CTE :Not applied Water Consumption : 330 to 350 KLD Waste Water generation : (a) Domestic effluent: 90 KLD (b) Trade effluent: 190 KLD Date of Commissioning:1982 ETP : yes adequacy report submitted Test Report (Water) within limit : Yes Test Report (Air) within limit : yes (wet scrubber) NMR submitted : Yes dated 18.10.2010 (D.G Set of 3X910 KVA) GW: 327-345 KLD ATR/Remarks: Earlier CTO issued vaild upto 21.10.2004 CTO_R issued valid upto 31.10.2007 Applied for CTO_R on 12.12.2007 vide ID no 24467
	The unit must use the treated waste water for the entire cooling requirement so that fresh water is conserved and treated waste water get optimally utilized. Ask the unit to submit a feasibility report for installation of Sewage Treatment Plant(STP) for treating the entire waste water and for installation of recycling system for reuse of treated waste water in the cooling tower, toilet flushing, horticulture etc. supported by a water mass balance chart. Unit is also required to submit a fresh effluent analysis report with complete parameters as per new notification from approved laboratory of DPCC. Also unit may be asked to install Solar Water Heating system and ensure use of CFL, BEE labeled equipments to conserve the energy. Inform to DJB regarding ground water extraction. 
	The unit must use the treated waste water for the entire cooling requirement so that fresh water is conserved and treated waste water get optimally utilized. Ask the unit to submit a feasibility report for installation of Sewage Treatment Plant(STP) for treating the entire waste water and for installation of recycling system for reuse of treated waste water in the cooling tower, toilet flushing, horticulture etc. supported by a water mass balance chart. Unit is also required to submit a fresh effluent analysis report with complete parameters as per new notification from approved laboratory of DPCC. Also unit may be asked to install Solar Water Heating system and ensure use of CFL, BEE labeled equipments to conserve the energy. Also inspection be conducted. Inform to DJB regarding ground water extraction. 

	107
	35778  
	30-11-2010
	AMBEY CABLE INDUSTRIES
	PLOT NO-85, POCKET-G, SECTOR-5, DSIDC BAWANA INDUSTRIAL AREA
	Bawana Industrial Area
	Orange Operate
	Mfg. of PVC Wire and Cables.
	08-12-2010 : CTE :Yes valid from 2.12.2009 to 1.12.2010 Water Consumption :250 ltrs/day Waste Water generation : (a) Domestic effluent: 150 ltrs/day (b) Trade effluent: Nil Date of Commissioning: January-2010. ETP : N/A Test Report (Water) within limit :N/A Test Report (Air) within limit : N/A NMR submitted : N/A
	Recommended for grant of consent to operate with the stipulations of MPD-2021 regarding number of workers and plot area. 
	Issue consent to operate with the stipulations of MPD-2021 regarding number of workers and plot area. 

	108
	35779  
	30-11-2010
	RAJDHANI FLOUR MILLS LTD.
	C-45/3-4, LAWRENCE ROAD INDUSTRIAL AREA
	Lawrence Road Industrial Area
	Orange Renewal
	DALL AND BESAN MILL.
	20-12-2010 : Deatils of case: CTE : Not Applied Water Consumption : 1.5 KLD Waste Water generation : (a) Domestic effluent: 1KLd (b) Trade effluent: Nil Date of Commissioning: since 1974 ETP : N/A Test Report (Water) within limit : N/A Test Report (Air) within limit : Yes NMR submitted : Yes ATR: CTE Issued on 19.11.2009 with C.No. 21986.
	Recommended for grant of renewal of consent.
	Issue renewal  of consent.

	109
	35786  
	30-11-2010
	INDIAN SAFE FACTORY
	B-48, PHASE-I, MAYAPURI INDUSTRIAL AREA
	Mayapuri Industrial Area
	Orange Operate
	MFG OF STEEL AND WOODEN FURNITURE WITH PAINTING
	08-12-2010 : Earlier CMC Decision: Decision on 23.06.2010 Ask the unit to apply for consent under orange category in view of hazardous waste generating activity of painting. Decision on 07.10.2010 Issue SCN for refusal of consent Details: CTE : Applied on 30.11.2010 vide ID no 35785. Water Consumption : 150 LPD Waste Water generation : (a) Domestic effluent: 100 LPD (b) Trade effluent: nil Date of Commissioning:1970 ETP : N/A Test Report (Water) within limit : N/A Test Report (Air) within limit : N/A NMR submitted : N/A ATR/Remarks: Earlier CTO issued valid upto 13.03.2005 under green category for the activty of steel and wooden furniture. CTO_R issued valid upto 13.03.2010 under Green category for the activity of Mfg. of steel & wooden furniture without saw mill Unit applied for CTO_R on 13.03.2010 vide ID no 33122 under Green category. Unit applied for fresh authorization under HWM Rules on 30.11.2010 vide ID no 0519. SCN for refual of consent issued to the unit on 22.11.2010.
	Recommended for grant of consent to operate and authorization under HWM Rules.
	Ask the unit to submit the details of the channelization provided over the painting process on an affidavit supported by the photographs.


	S. No.
	ID No
	firm_name
	firm_address
	area_name
	Activity
	Earlier CMC decision
	ATR / Remarks
	Decision recommended by CMC(Orange) on 14.02.2011

	1
	_
	Harish chemical &Metal works
	Gali No-8
	Friends Colony Industrial Area
	Dilution of Liquid Sodium Silicate.
	Closure direction has been issued to the unit as decided in the meeting held on 16.02.2009.
Recommendations of Scrutinizing Committee on 31.01.2011 / 01.02.2011
As instead of manufacturing of Sodium Silicate it is being brought from outside for dilution and trading hence the process may not be considered under the negative list of MPD-2021 though the unit is running without any consent. Closure directions has already been issued on 16.02.2009, holding the activity of the unit under negative list. The directions are required to be modified. Hence, a SCN u/s 21/22 of the Air Act and u/s 25/26 of the Water Act to the unit be issued. Inform to DJB about the borewell.
Decision recommended by CMC(Orange) on 07.02.2011
Decision deferred for next meeting.
	Inspection conducted on 07.01.2011.
a. The activity of the unit is dilution of liquid sodium silicate and trading.
b. The main raw material is thick liquid sodium silicate.
c. Boiler with cyclone was found in defunct & disconnected. No coal was found in the premises.
d. No furnace was found.  
D.G.Set:No.
	Case be referred to CPCB for seeking opinion regarding inclusion of the activity of dilution of sodium silicate in negative list of MPD-2021.

	2
	_
	Bharat Silicate Works,
	B-38
	Jhilmil Industrial Area
	Dilution of  Sodium Silicate.
	Recommendations of Scrutinizing Committee on 31.01.2011 / 01.02.2011
In view of the use of coal fired boiler, issue SCN for closure of the unit. Inform to DJB regarding ground water extraction. 
Decision recommended by CMC(Orange) on 07.02.2011
Decision deferred for next meeting.
	Inspection conducted on 05.01.2011.
a. The activity of the unit is dilution / mixing of hot water in sodium silicate (solid).
b. The main raw material is sodium silicate (solid)/coal/water.
c. The unit has cyclone dust collector.
d. The production of diluted sodium silicate is 7000 kg per day, (As per 5000 ltr volume of 1.4 Sp. Density Gr.
e. Coal fired boiler is found installed with cyclone dust collector. 
f. Fresh stock of coal was found in the premises for boiler use.
g. Occasional vessel washing is also done.  
D.G.Set:No.
	Case be referred to CPCB for seeking opinion regarding inclusion of the activity of dilution of sodium silicate in negative list of MPD-2021. In view of the use of coal fired boiler, issue SCN for closure of the unit. Inform to DJB regarding ground water extraction. 

	3
	_
	Hindustan Silicate  & chemical works
	Gali No-7
	Friends Colony Industrial Area
	Dilution of  Sodium Silicate.
	Recommendations of Scrutinizing Committee on 31.01.2011 / 01.02.2011
Earlier the closure directions were issued considering the activity in negative list of MPD-2021. As the Sodium Silicate is not being manufactured but being brought from outside for dilution and trading, the process may not be considered under the negative list of MPD-2021. In view of the use of coal fired boiler, issue SCN for closure of the unit. 
Decision recommended by CMC(Orange) on 07.02.2011
Decision deferred for next meeting.
	Inspection conducted on 07.01.2011.
a. The activity of the unit is dilution of sodium silicate (crystal) into liquid silicate.
b. The main raw material is sodium silicate in crystal form.
c. The unit has cyclone with coal fired boiler.
d. Fresh stock of coal was also found to be used in boiler.
e. The production of diluted sodium silicate is 7000 kg per day,@ 5000 lt product hav-ing 1.4 Sp.Gr.
f. Occasional vessel washing is also done. 
g. No furnace was found.  
D.G.Set:No.
	Case be referred to CPCB for seeking opinion regarding inclusion of the activity of dilution of sodium silicate in negative list of MPD-2021. Seek compliance report of closure orders from concerned agencies in view of unit still operating using coal fired boiler.

	4
	25259
	V. K Chemical Works 
	Plot No-29, Gali No-6
	Friends Colony Industrial Area
	Dilution of Liquid Sodium Silicate and trading.
	Recommendations of Scrutinizing Committee on 31.01.2011 / 01.02.2011
Status of court case be taken.
Decision recommended by CMC(Orange) on 07.02.2011
Decision deferred for next meeting.
	Inspection conducted on 07.01.2011.
a. The activity of the unit is dilution of liquid sodium silicate and trading.
b. The main raw material is liquid sodium silicate.
c. The unit has cyclone with coal fired boiler.
d. Boiler with cyclone was found defunct & disconnected condition. No coal was found in the premises.
e. Dilution with liquid sodium silicate is done without heating. 
D.G.Set:No.
	Case be referred to CPCB for seeking opinion regarding inclusion of the activity of dilution of sodium silicate in negative list of MPD-2021. Status of court case be obtained from Legal Cell.


	110
	35787  
	30-11-2010
	LILADHAR SHARMA & CO.
	PLOT NO 22, POCKET D, SECTOR -5, DSIDC, INDUSTRIAL COMPLEX, BAWANA INDUSTRIAL AREA
	Bawana Industrial Area
	Orange Operate
	Mfg. of PVC and Plastic Goods with injection moulding machine and Eng. Work (die and Tools) without trade Effluent.
	08-12-2010 : CTE :Yes CTE valid from 2.12.2009 to 1.12.2010 CTE valid from 28.1.2010 to 27.1.2011 Water Consumption :100 ltrs/day Waste Water generation : (a) Domestic effluent: 50 ltrs/day (b) Trade effluent: Nil Date of Commissioning: 2009 ETP : N/A Test Report (Water) within limit :N/A Test Report (Air) within limit : N/A NMR submitted : N/A
	Recommended for grant of consent to operate with the condition to provide hood & suction arrangement followed by a duct raised well above the roof levels (at least 2.0 meter above roof level) to channelize the process emissions within 06 months. 
	Issue consent to operate with the condition to provide hood & suction arrangement followed by a duct raised well above the roof levels (at least 2.0 meter above roof level) to channelize the process emissions and submit an compliance report on an affidavit within 06 months.


