 Minutes of the 115th meeting of the Committee Constituted for Deciding the Consent under Orange Category, held on 15.05.2009 in the Conference Room of Chairman, DPCC.

   The following persons attended the meeting:

1. Sh. J. K Dadoo, Chairman DPCC

2. Dr. A.K.Ambasht, Member Secretary, DPCC

3. Sh. S.K.Gupta, Head Chemical Engineering Deptt. ,IIT Delhi 

4. Sh. B. Kumar, SEE, DPCC

5. Sh. M. Dwarakanth, SSO, Dept. of Env,. GNCTD.

6. EEs  of CMC –  I, II & III/PGRC.

7. AEEs and JEE of CMC – I, II & III.

8. AEE, PGRC.

In addition to above, Sh A.N. Singh Scientist, Deptt. of Environment and Trainees of CMCs, PGRC & SIT also attended the meeting.

Following decisions were taken in the said meeting:- 

Agenda Item No.1-   Personal Hearings.
Ambience Mall and Housing Society, Gurgaon

The unit came for personal hearing today. It has filed a written submission that it has stopped all discharges of waste water into the drain and it requests for opening of the blocked natural course under the NH-8. This is a critical matter which requires accurate verification and resolution. Therefore, CMC feels that the four member expert committee headed by Dr. Anil Kumar, SSO, Deptt. of Environment and comprising of Sh. B. Kumar, SEE, Sh. A.N. Singh, Scientist, Deptt. of Environment & Dr. Chetna Harzai, Scientist, Deptt. of Environment, will visit the area, after going through the representation of the respondent and clarify all the points raised in the petition dated 15.05.2009. Copy of this petition may be given to all the four members of the team. Call on 01.07.2009.
CTC Mall, 3, Najafgarh Road, New Delhi

The unit did not come for personal hearing today. Perusal of the file indicates the following deficiencies:-
(i) Unit has not provided the rain water harvesting system.

(ii) Unit has not installed flow measuring devices with the STP.

(iii) Unit has not submitted the environmental damages and the Bank Guarantee imposed.  

Ask the unit to take necessary action w.r.t. above points and submit compliance report. Call on 01.07.2009
DLF Commercial Developers Ltd (Construction of proposed Commercial & Retail Centre at Plot no 10 & 11 Jasola New Delhi

The unit came for personal hearing today. It has filed a compliance report on the points of deficiencies found by the SIT and agreed to rectify this within one week. The six monthly monitoring report must be submitted with a clear item-wise compliance on each point of the environmental clearance’s conditions and the unit must also file the consent to operate application and adequacy report from empanelled consultant of DPCC and affidavit that they do not have any borewell. Call on 01.07.2009. 
Parsvnath Developers Ltd in construction with M/s OCL Ltd Commercial Complex at Pratap Nagar Metro

The unit came for personal hearing today. It assures that it will set up the STP within 01 month. Unit be asked to file adequacy report from empanelled consultant of DPCC for the STP installed. Call on 01.07.2009.

PVR Anupam, Saket, New Delhi-20

The unit came for personal hearing today. As per submission made during hearing it will file the adequacy report of the STP and permission from DJB for ground water extraction and will install rain water harvesting structure. Call on 01.07.2009.
Parsvnath landmark developers Pvt. Ltd Construction of Residential Complex at Subhash Nagar

The unit came for personal hearing today.  Call on 01.07.2009.

M/s Inder Battery, B-101, Mayapuri Indl. Area, Ph-II, Delhi-64

The unit did not come for personal hearing today.  MS to speak to the unit and explain him that if he does not appear in person, police will be asked to take necessary action. Call on 01.07.2009.
Construction of office complex "Anupam Tower Complex", 23-A, Najfgarh Road Indl. Area, New Delhi by M/s BPTP Ltd.

The unit came for personal hearing today. It was clarified to the unit that as per the Water Act, STP would be required since the waste water discharged is 16-20 KLD, adequate stack heights for all the D.G. Sets operated in the premises are required to be provided and DJB clearance is required for ground water extraction. Also ask the unit to apply for Consent to Establish under Air & Water Acts. Call on 01.07.2009.
(i) M/s Neelam Trunk House, Shop No. 10, Nehru Bazar, Paharganj, Dehi and (ii) M/s Ghan Shayam Trunk House, Shop No. 10, Nehru Bazar, Paharganj, Dehi

Sh. Surinder Kumar appeared on behalf of both the units. Units will file a fresh noise monitoring reports from any of the approved laboratories of DPCC. Ask the unit to comply with the order of Hon’ble court dated 02.04.2009 Call on 12.06.2009.

M/s Sarwana Bhawan, Janpath, Connaught Place

The unit came for personal hearing today. It has to set up biological STP of about 12 KLD in view of 176 seating capacity. Ask the unit to apply for Consent to Establish. Consent to Establish application must be filed within a week. Also ask the unit to submit water cess payable under Water (Prevention & Control of Pollution) Cess Act, 1977 for the period since when the unit is operating. Call on 01.07.2009. 

M/s Sarwana Bhawan, near Shivaji Stadium

The unit came for personal hearing today. It has to set up biological STP of about 08 KLD in view of 113 seating capacity. Ask the unit to apply for Consent to Establish. Consent to Establish application must be filed within a week. Also ask the unit to submit water cess payable under Water (Prevention & Control of Pollution) Cess Act, 1977 for the period since when the unit is operating. Call on 01.07.2009. 

J. Mitra & Co. Ltd., A-180, Ph-I, Okhla Industrial Area, New Delhi-110020

The unit came for personal hearing today. SIT-I to inspect the premises which could not be inspected and report on 01.07.2009. Call on 01.07.2009.
(i) D Mall, Plot No 1 B-5, Twin District Centre, Sector-10, Rohini by Mera Baba Reality Associates Pvt. Ltd., 23, Vaishali, Pitampura, Delhi-85 and (ii) Mera Baba Reality Associates Pvt. Ltd., Plot No A-1, District Centre, Wazirpur (Netaji Subhash Place), New Delhi

The unit came for personal hearing today. After detailed deliberation and submissions made by the unit, the unit is asked to file all its submissions in writing within a week and case will be considered on 22.05.09. By that time unit may also file adequacy report and DJB clearance for taking up final decision. Call on 22.05.2009.
Agenda Item No.2-   PGRC cases.
Decisions taken with respect to this agenda are tabulated and annexed as Annexure – 1.

Agenda Item No.3-   Special reference cases.
This agenda could not be taken up by the Committee, due to paucity of time, and it was decided to take up the same in the CMC meeting to be held on 12.06.2009.

Agenda Item No. 4-   Shopping Mall cases

This agenda could not be taken up by the Committee, due to paucity of time, and it was decided to take up the same in the CMC meeting to be held on 12.06.2009.

Agenda Item No.5- Construction Projects cases
This agenda could not be taken up by the Committee, due to paucity of time, and it was decided to take up the same in the CMC meeting to be held on 12.06.2009.

Agenda Item No. 6- Cases of prosecution filed by DPCC.
This agenda could not be taken up by the Committee, due to paucity of time, and it was decided to take up the same in the CMC meeting to be held on 12.06.2009.

Agenda Item No. 7-  Farm House cases.
This agenda could not be taken up by the Committee, due to paucity of time, and it was decided to take up the same in the CMC meeting to be held on 12.06.2009.

Agenda Item No. 8-  Representation from New Rohtak Road Manufacturers Association – request for renewal / issuing of consent from DPCC.
This agenda could not be taken up by the Committee, due to paucity of time, and it was decided to take up the same in the CMC meeting to be held on 12.06.2009.

Agenda Item No. 9-  Operation of unauthorized godowns in village Alipur.
This agenda could not be taken up by the Committee, due to paucity of time, and it was decided to take up the same in the CMC meeting to be held on 12.06.2009.

Agenda Item No. 10-  Closure of plastic units operating in non conforming areas pertaining to CMC-II.

File be examined in terms of replies received or not received so that correct decision will be taken and submitted administratively without waiting for minutes. 

Table Agenda Item No 1:-  M/s Rishabh Buildcon PVt. Ltd. (Rishabh Impex Mall), Plot No 91, near Hasanpur Village, Patparganj, I.P. Extension, Delhi

In view of the findings of SIT – II, during its inspection, call the unit for personal hearing on 24.06.2009 at 5.00 PM.

Table Agenda Item No 2:-  M/s Shah Namkeen, 188, Gopal Park, Cahnder Nagar, New Delhi

Call on 01.07.2009

Table Agenda Item No 3:-  M/s Kumar Labels, D-92/4, Phase-I, Okhla Industrial Area, New Delhi-110020
The unit has sought consent to operate. Call on 01.07.2009

Table Agenda Item No 4:-  M/s Gulati Glass Industries (P) Ltd.-II, S-69, Badli Industrial Estate, Delhi

Unit has sought renewal of consent. Call on 22.05.2009 with file. 

Table Agenda Item No 5:- Ambience Towers Pvt. Ltd., Plot No 10, Community Centre, Block B, Shalimar Bagh, Delhi

During the personal hearing in its other case listed today, the unit claimed that in this project, there are no trees on its land and unit is willing to provide photographs to substantiate its claim. Let this be filed and case be taken up on 12.06.2009. Call on 12.06.2009.

Table Agenda Item No 6:- Ambience Developer Pvt. Ltd, Plot No. 2, Vasant Kunj Mall, Vasant Kunj

Unit came for personal hearing in its other case listed today. In this case, unit has to give a compliance report on some of the deficiencies which were found by SIT. The unit is also supposed to provide water balance chart, a letter from DDA indicating that they will get nearly 300 KLD of waste water from Vasant Kunj STP. If, the STP is fully functional and operational as certified by Delhi College of Engineering and the entire waste water is treated and reused then the 5th category concession of 50 % of 50 % of the initial damages / Bank Guarantee will be applied. Call on 12.06.2009.

Table Agenda Item No 7:- Shantiniketan Buildwell Ltd. (Proposed Office Cum Commercial cum Complex At Plot D-3, P-3, B , Saket)

The unit is yet to file correction of deficiencies and on the other hand asking for consent to operate. This is not permissible. Ask the unit to file full compliance. Call on 01.07.2009 

Table Agenda Item No 8:- TSL Mall /Shopping Mall, Sec-04 Dwarka, New Delhi

File be submitted administratively after studying the court order and the reasons for asking to file the contempt petition. 

Table Agenda Item No 9:- TSL Mall /Shopping Mall, Sec-06 Dwarka, New Delhi

File be submitted administratively after studying the court order and the reasons for asking to file the contempt petition. 

Table Agenda Item No 10:- Pankaj Group, Sec-12 Dwarka, New Delhi

File be examined and put up administratively. 

Table Agenda Item No 11:- M/s Raj Overseas, C-60/1, Wazirpur Industrial Area, Delhi-52
Call on 28.05.2009 along with other WIA cases.

Table Agenda Item No 12: A D.O. letter dated 04.05.2009 received from Chief Executive Officer, DJB regarding water harvesting / waste water recycling system in cooperated in Building Bye Laws. 

Sr. Scientist (IT) with DOEAC officials and programmer of SRIJAN must sit together and prepare the data w.r.t. installation of rain water harvesting system in Delhi since October, 2006. This data is to be generated for CMC(MSW), CMC(BMW) & CMC(Orange) within 15 days. Call on 03.06.2009

Table Agenda Item No 13:
Three cases of malls namely (i) Jindal Biochem (P) Ltd., Karkardooma, District Centre, near AGCR Colony, Delhi (ii) Paliwal Developers Ltd (DLF), Galleria shopping Mall Plot No. 1 B, Mayur Vihar, Delhi – 92 & (iii) DLF Retail Developers Ltd. (Construction of Shopping Complex named as DLF South Court  at Plot No A1 & P2B, Saket Place, Saket, New Delhi ) have been inspected by SIT for submission to the advocate for the court hearing on 18.05.2009. The deficiencies noted by SIT during inspection be informed to the advocate by MS tomorrow. Call on 22.05.2009.

Table Agenda Item No 14: 

Following five cases were brought before the Committee:-

(i) Pearl Best Heights, II, Plot No C-9, Netaji Subhash Place, Pitampura, Dehi by Best Infrastructure (India) Pvt. Ltd., Best Plaza, Plot No H8, Netaji Subhash Place, Pitampura, New Delhi (ii) Best Sky Tower, Plot No F5, Netaji Subhash Place, Pitampura, Delhi  by Best Realtors (India) Pvt. Ltd., Best Plaza, Plot No H8, Netaji Subhash Place, Pitampura, New Delhi (iii) Best Mega Mall, CSC/OCF No 7, Sector-24, Phase-III, Rohini, New Delhi (iv) Pearl Best Heights, 1, Plot No A5, Netaji Subhash Place, Pitampura, New Delhiby M/s Best Infrastructure (India) Pvt. Ltd., & (v) Sachdewa Buildcon, Plot No 17, Karkardooma, District Centre, near AGCR Colony, Delhi
Since theses cases are coming up in the Hon’ble High Court on 18.05.2009. Call on 22.05.2009.

Table Agenda Item No 15:
Following five cases were taken up as a table agenda in view of the directions of Hon’ble Lt. Governor in the common file related to 33 hotel projects pertaining to Commonwealth Games-2010 :-

(i) Construction of Hotel at A-1 & A-2, Community Centre, Pitampura, Delhi by M/s Sita Kiran Inn Pvt. Ltd., 88-C, Civil Lines, Bareily (UP) (ii) Construction of Hotel at Community Center Anand Vihar Best View Properties Ltd. C/o Eldeco Infrastructure & Properties Ltd. SV-12-13, Bhikaji Cama Place, New Delhi (iii) Construction of Hotel at Community Center Vivek Vihar by  Perfect Learning Pvt.Ltd. A-12, Swasthya Vihar, Vikas Marg, Delhi-92 (iv) Construction of Hotel at  6A-Community Center  Mandavali Fazalpur by  Spirit Hotels & Resorts Pvt. Ltd., 59, Pkt-2, Jasola, New Delhi and (v) Construction of Hotel at 4B-Mayur Vihar , Antarctica Properties Co. Ltd.,  2nd floor, Ritambara Building, Tribhuvan Complex, Ishwar Nagar, new Delhi-65
In view of the order Hon’ble Lt. Governor, Delhi, not to levy any damages on these units being time bound ones, Committee deliberated the issue and it was decided to ask the units first to correct the deficiencies noted by SIT including tree cutting permission and permission from DJB for ground water extraction, wherever is applicable. This may be done without waiting for the minutes. If the deficiencies are rectified, Consent to Establish be granted giving same conditions imposed in the 19 hotel projects for Commonwealth Games-2010. Call on 12.06.2009.
Table Agenda Item No 16:
Regarding all restaurants and eating places having more than 100 seats in Connaught place area, MS to take a list of such units from NDMC and submit by 01.07.2009. Call on 01.07.2009.
Meeting ended with thanks to the Chair.

	S. no.
	Name
	Activity
	Facts of The Case
	Earlier Decision
	Action Taken
	Decision on 15.05.09

	1
	Ever Green Sweet House, S-29 & 30, Main Market, Green Park, New Delhi
	Restaurant-cum-sweet shop
	The unit was inspected by DPCC official on 10.05.08  w.r.t. a public complaint received from the residents of the area.  As decided in CMC on 13.05.08, a letter was issued to the unit on 05.06.08 regarding submission of CTE, operation of ETP and use of degradable of plastic bags. The unit submitted its reply on 10.06.08 and applied for CTE on 09.06.08. As decided in CMC on 18.06.2008, the unit was inspected on 09.07.08 and No deficiencies were observed.As decided in CMC on 13.08.08, the file was put up admistratively and as approved, a letter was issued to the unit on 17.09.08 regarding submission of BG of Rs. 50,000 under water act and permission from CGWA.The unit submitted it's reply on 30.09.08 along with BG of  Rs 50,000 under Water Act and a copy of letter dated 29.09.08 submitted to the CGWA for clearance.As decided in CMC on 30.09.08, letter issued to the unit on 17.10.08.The unit submitted its reply alongwith copy of letter issued by Scientist D ,CGWA and informed that there no provision for clearance of old borewell. Letter issued to the unit on 07.01.09 regarding permission as well as detail of bore well. 
Unit has submitted reply on 12.01.09 and informed that they are applying for 
permission and submitted the detail of Bore well. Letter issued to the unit on
 04.02.09 and unit submit its reply which states that they have applied for CGWA 
clearance in Dy. Comm. and Delhi Jal Board and they referred them to CGWA 
for the same. But CGWA informed that there is no provision for clearance of old 
bore well.Letter issued to the unit on 27.03.09.
CTE applied on 09.06.08. CTO (Renewal) and HWM authorisation applied on 
20.12.07.
	Decision on 04.03.09: Ask the unit to submit the letter received from DJB. Call on 02.04.09.
Decision on 02.04.09: Send a letter to DJB in the line of new notification. Call on 12.05.09.
	Letter issued to DJB on 12.05.09
	Call on 01.07.2009

	2
	State Bank of Indore, S-31, Main Market Green Park
	Bank
	The unit was inspected by DPCC official on 10.05.08  w.r.t. a public complaint received from the residents of the area. As per the decision of Consent Management Committee (CMC) meeting held on 13.05.08 and 18.06.08, letters were issued on 05.06.08 and 03.07.08 (copy enclosed) to state bank of India in place of state bank of Indore due to typographical error.  As decided in CMC on 13.08.08, the file was put up admistratively and as approved, a letter was issued to the bank on 09.09.08 for installation of proper acoustic enclosure and adequate stack height with the DG Set. As decided on CMC on 30.09.08 , final reminder issued on 17.10.08. Letter was issued to the Deputy General Manager on 21.11.08. Letter issued to the Deputy General Manager,SBI on 24.12.08.Letter issued to the unit on 02.02.09 and unit submit its reply on 05.02.09 & 09.02.09 and inform that the stack height of DG Set has been increased upto 35'. Letter issued to the unit on 27.03.09. regarding installation of proper acoutic enclosure and adequte stack height.
	Decision on 14.01.09: Issue final reminder. Call on 04.03.2009.
Decision on 04.03.09: Insist for full compliance. Call on 02.04.09.
Decision on 02.04.09: Call on 12.05.09.
	 
	Call for personal hearing on 01.07.2009 at 5.00 PM.

	3
	Madras café, S-26, Main Market, Green Park
	Restaurant
	The unit was inspected by DPCC official on 10.05.08  w.r.t. a public complaint received from the residents of the area.  As decided in CMC on 13.05.08, a letter was issued to the unit on 05.06.08 regarding installation of oil and grease trap. No reply received.As decided in CMC on 18.06.08, final reminder issued on 03.07.08. which was returned back undelivered. The unit submitted its reply on 24.07.08 mentioning that the letter was received from the Deptt. and enclosed a newspaper clipping with the heading " Government 'generous' to restaurant owners, sweet-makers" . As decided in CMC on 13.08.08, a letter was issued to the unit on 09.09.08 for personal hearing on 17.09.08 before CMC which was returned back undelivered. The same was delivered by hand by Trainee Engineer on 17.09.08. The unit came for personal hearing 17.09.08.As decided in CMC on 30.09.08, final reminder issued on 17.10.08 . The unit submitted its reply on 07.10.08 and informed that oil & grease trap has been installed .Letter issued to the unit on 24.12.08. Reply received from the unit on 23.12.08 that they are using degradable plastic bags and submitted effluent analysis report of Oil and 
Grease trap. Letter issued on 02.02.09.
	Decision on 05.11.08: Issue final reminder. Call on 14.01.2009
Decision on 14.01.09: Ask the unit to apply for Consent to Establish immediately. Call on 04.03.2009.
Decision on 04.03.09: Issue final reminder. Call on 02.04.09.
Decision on 02.04.09: Call on 12.05.09.
	Reply received from unit on 06.04.09 and seeks 25-35 days time.
	Call for personal hearing on 01.07.2009 at 5.15 PM.

	4
	M/s Sabka Bazaar,  (A unit of Home Stores India Pvt. Ltd.) C-3/10, Ground Floor, Janakpuri, New Delhi-110058.
	Retail outlets
	The unit was inspected by DPCC official on 09.04.08  w.r.t. public complaint received from the residents of the area.  As decided in CMC on 23.04.08, letter was issued to the unit for the correction of all the deficiencies. A similar complaint was also received through PGC on 29.04.08. Reply sent on 26.05.08. The unit was again inspected by Trainee Engineer on 24.07.08 and as approved, the unit was called for hearing on 20.08.08/ 22.08.08 before MS. On 22.08.08, one Mr. V.K. Singh, Advocate appeared without POA. As approved the unit was called for hearing on 03.09.08 before CMC. No one came for hearing on 03.09.08 and as decided by CMC, copy of complaint along with PGRC inspection report were sent to the unit on 22.09.2008 to submit its comments. No reply received. As decided in CMC on 30.09.08, final reminder issued on 17.10.08.No reply received. Notice for closure u/s 31(A) Air Act issued on 17.11.08.Reply received from the unit on  03.12.08 through it's council Sh. Vinod Kumar Singh,advocate, authorizing him to deal with the matter related to Pollution Control Committee. It has been informed that the public complaint was made by some rival group as there is no 
noise or air pollution coming out from the air conditioner(split). Inspection was carried out on 
31.12.08. During inspection, noise was observed from one of the Chiller exhaust. Fiber sheet 
is provided to 5 AC's chiller except chiller exhaust which is creating noise. Letter issued to the 
unit to file noise monitoring report on 02.02.09. Final remainder issued .Letter issued to the unit on 27.03.09. regarding submission of NMR.
	Decision on 14.01.09: Ask the unit to file noise monitoring report from one of the  laboratories empanelled by DPCC. Call on 04.03.2009.
Decision on 04.03.09: Issue final reminder. Call on 02.04.09.
Decision on 02.04.09: Call on 12.05.09.
	One more complaint has been received from the same complainant.
	Call for personal hearing on 01.07.2009 at 5.30 PM.

	5
	Tivoli Garden Resorts(A unit of TG Leisure & Resorts P Ltd) , Chattarpur, Mehrauli, N. Delhi- 30
	Resorts with Restaurant & Banquette Hall
	Reminder letter issued on 30.10.08 to file Adequacy report and CGWA clearance. However, a reply was received from the unit on 16.10.2008 informing that they have applied to CGWA for permission to draw the ground water. It was also informed that the technical team of Guru Gobind Singh Indraprastha University has already inspected the ETP and the adequacy report will be submitted at the earliest after receipt of the same. The unit submitted adequacy report issued by G.G.S.IP University on 05.11.08.Letter issued to the unit on 02.02.09 . Unit submit its reply on 16.02.09 and inform that flow measuring device has been installed (photograph attached) Letter issued to the unit on 27.03.09 regarding submission of clearence from CGWA.
CTE applied on 07.04.08.
	Decision on 11.12.2008:  Call on 14.12.2008.
Ask the unit to submit compliance of installation of flow measuring device. Call on 04.03.2009.
Decision on 04.03.09: Ask the unit to file CGWA clearence. Call on 02.04.09.
Decision on 02.04.09: Call on 12.05.09.
	 
	Issue final reminder for clearance from DJB for ground water extraction as per new orders. Call on 01.07.2009

	6
	Jai Bhawani Enterprises/ Bhawani Printers, D-21/6, Okhla Indl. Area, Phase II,Delhi
	Printing and Binding
	The unit was inspected by Trainee Engineer on 08.08.08 w.r.t. public complaint received from M/s ICON Printing Process Pvt. Ltd., D-22/1, Okhla Indl. Area, Ph-II, New Delhi. As decided in CMC on 13.08.08, the case was put up administratively and as approved, notice u/s 31 (A) of the Air Act and u/s 5 of EPA were issued on 03.09.08. No reply received from the unit so far. Final reminder issued to the unit on 21.10.08. Unit is call for personal hearing on 10.12.2008 at 5.00 PM.Letter issued to unit on 24.12.08 to submit the compliance of deficiencies. Final reminder issued on 03.02.09. 
Two more complaints received from the same complainant. Reply received on 06.03.09 and informed that they have rectified all the deficiencies and applied for CTE and HWM authorization.
CTE  and HWM authorization applied on 16.01.09.
	Decision on 14.01.09: Issue final reminder. Call on 04.03.2009.
Decision on 04.03.09:  Issue final reminder for compliance. Call on 02.04.09.
Decision on 02.04.09: Ask the unit to submit the confirmation on an affidavit along with photograph about the rectification of the deficiencies noted during the inspection.
	Letter issued to the unit  on 01.05.09. 
	Call on 01.07.2009

	7
	Complaint against Water and Air Pollution in Village Singhola, Nerala, Delhi - 40
	Dying and Washing of jeans
	A public complaint was received from Satvir Gaur against illegal factories operating in Singolla village.The inspection was done by AEE and DPCC Trainee Engineers .During inspection following units were found in operation and engaged im dying and washing of jeans . Trade effluent discharged without treatment in the open drain.Units are operating in non - conforming / residential areas and covered under F-27/33 catagory.  No measures taken to control the air and water pollution by the following units:(i) Shrawaan Kumar , Kittu manufacture (landlord- Rajender Singh Khatri), Oppo. Punjab and Sindh Bank, Vill. Shinghola, Delhi - 40.   (ii) Brij lal(landlord- Umad Singh),  Oppo. Punjab and Sindh Bank, Vill. Shinghola, Delhi - 40. (iii)Sanjeev Kumar ( Daya Nand Khatri),  Oppo. Punjab and Sindh Bank, Vill. Shinghola, Delhi - 40. (iv) Saleem (landlord - Rakesh khatri), Vill. Shinghola, Delhi - 40. Letter issued to Dy. Comm.(NW) on 20.11.08 for effective closure of the units.A reminder letter is issued on 23.12.08.Letter  issued from the side of Chairman, DPCC to Secretary(Revenue) on 12.02.09.
	Decision on 14.01.09: Letter  be put up from the side of Chairman, DPCC to Secretary(Revenue) administratively. Call on 04.03.2009.
Decision on 04.03.09: Call on 02.04.09.
Decision on 02.04.09: MS to take up with DC (North-West). Call on 12.05.09.
	Letter issued to Dy. Comm. ( North-west ) on 08.05.09
	Call on 01.07.2009

	8
	Shri Sanatan Dharam, G.K. II Sabha, S- Block, Road No. 1, G.K.-II, New Delhi-48.
	Socio cultural orgnisation(Karante,uthala, dispensary etc.)
	The premises was inspected by PGRC officials on 16.08.2007 w.r.t. High Court Case titled as Sh.K.L.Talwar V/s LG & others. During the inspection it was observed that adequate stack height and acoustic enclosure has not been provided with the D.G. set of 5 KVA. The premises is being used for Mandir and for other socio cultural activities i.e. Karante, Uthala, Dispensary etc. As decided in CMC meeting held on 9.10.07, notice u/s 31 (A) of the Air Act was issued on 6.11.07. The unit submitted its reply on 27.11.07 and informed that action are being taken to provide acoustic enclosure. As decided in CMC meeting held on 29.02.08, a letter was issued to the unit on 14.03.08 to submit an affidavit regarding installation of adequate stack height and acoustic enclosure with the D.G. set of 5 KVA.. letter was issued to General Secretary on 05.06.08. The Hon'ble High Court deposed of the matter vide its order dated 17.09.08 with certain directions to respondents. As approved, reminder letter was issued on 12.11.08. The unit submitted its reply on 11.12.08 and informed that the said generator has become faulty 
since long back and lying unserviceable since then.Letter issued on 27.03.09.
	Decision on 14.01.09: Ask the unit to file an affidavit stating that either D.G. Set is not operational or it is complying with the norms notified for the D.G. Set. Call on 04.03.2009.
Decesion on 02.04.09: PGRC to inspect and report w.r.t. use of DG set for social purpose. A direction may also be issued that DG set without acoustic enclosure will not be used. Call on 12.05.09.
	Directions u/s 31(A) of Air Act has been issued on 05.05.09 and an inspection was carried out by Engineer Trainee on 05.05.09 and it was observed that the unit is installed 3 DG set of 5 KVA, 75 KVA & 125 KVA. DG set of 5 KVA & 125 KVA was found in defunct condition and DG set of 75 KVA was operating without acoustic enclosure and  adequate stack height.
	Call on 01.07.2009

	9
	M/s Shri Ganesh Processors, 234, Pocket G, Sector 3, Bawana Indl. Area
	Washing & Dyeing of Jeans
	The unit was inspected on 28.04.08. w.r.t a public complaint and the Case was put up in CMC Meeting on 30.04.08. As decided in CMC Meeting, letter was issue to the unit on 09.05.08. for submission of CTE, BG and Affidavit. As approved, reminder issued on 02.07.08.The cases of PGRC put up administratively and as approved, one more reminder has been issued to the unit on 03.09.08. Letter issued on 02.02.09 and pasted on 27.02.09.
Inspection was carried out by Engineer Trainee on 27.03.09. 
-During inspection unit found operating and engaged in mfg. of plastic Battery cover by using waste plastic scrap. 
-Waste water after washing of plastic scraps is directly thrown into sever.
-Bad house keeping. 
-Ground water used for washing purpose. No CGWA permission.                                                         
	Decision on 14.01.09: Paste the reminder on the premises. Call on 04.03.2009.
Decision on 04.03.09: Trainee, PGRC to inspect and report . Call on 02.04.09.
Decision on 02.04.09: Old unit was found closed and new unit namely M/s Space Battery Indus. Found operating. Issue SCN for closure under Air & Water Acts. Call on 12.05.09.
	SCN issued to the unit under air and water act on 01.05.09.
	Change the name of the case by M/ s Space Battery Indus. Call on 01.07.2009

	10
	Radicura Pharmaceutical Pvt. Ltd.,B-117 Okhla Industrial Area, Ph -I, Delhi
	Mfg. of Pharmaceuticals(formulation).
	An inspection was carried out by a team of DPCC official on 08.08.07 w.r.t a public complaint. Notices u/s 33(A) of Water Act and u/s 5 of EPA issued on 14.09.07. Unit has submitted effluent analysis report of ETP.Unit submitted adequacy report on 21.02.08. Letter issued on 02.02.09. Reply received on 17.02.09 and inform that they have already installed an ETP and flow measuring device. (photographs attached) and request to grant CTO (Renewal)
Decision on 14.01.09: Ask the unit to give compliance of flow measuring device and management of  the sludge as per HWM Rules.Letter issued to the unit on 27.03.09 regarding submission of application of CTE.
CTO valid upto 06.03.06, CTO (Renewal) applied on 24.02.06. HWM applied on 25.02.05.
	Decision on 04.03.09: Ask the unit to apply for Consent To Establish. Call on 02.04.09.
Decision on 02.04.09: Call on 12.05.09.
	 
	Issue final reminder. Call on 01.07.2009

	11
	M/s Raju Hosiery Factory, B-13,Jhilmil Industrial Area,Shahdara. 
	Al circles by casting
	An inspection was carried out by DPCC official on 25.02.08 w.r.t a public complaint. The unit had installed wet scrubber with chennelization system over furnace. However, it was observed that the unit has made 02 openings at roof top to escape the emission. Letter and notice u/s EPA and Air Act issued on 18.03.08. Reply received from the unit on 04.04.08 along with affidavit and informed that deficiencies have been rectified.
The following deficiencies were observed during the SIT inspection:-
(i) Log book w.r.t. hazardous waste was not maintained as per HWM Rules. 
(ii) Unit is required to close down the opening towards road side.
(iii) CGWA permission was not available.
(iv) Sewage generated is to be connected into the sewer. Ask the unit to correct the above deficiencies.Letter issued to the unit on 30.03.09 regarding corection of defficencies.
 CTO valid upto05.04.06 CTO(R) valid upto 23.04.09.
	Decision on 02.04.09: Call on 12.05.09.
	 Reply received from the unit on 09.04.09 regarding that unit has rectify the deffieincy and close down the boring connnection.
	Ask the unit to file its reply on affidavit. Call on 01.07.2009

	12
	M/s Diamond Anodizes, A-4, Gali No.1,Anand Parvat Indl. Area, Delhi
	Anodizing
	The unit was inspected by DPCC officials w.r.t. to a Public compliant. It was observed the unit was in operation and engaged in anodizing. The unit has submitted three separated reply along with photograph and channelisation system, ETP & Commercial LPG cylinder and copy record of sludge generated since 01.02.2007& an affidavit regarding rectification of deficiencies. A letter was issued to the unit on 17.03.2008 to submit fresh affidavit & BG of Rs One Lakh under each act. Reply received on 20.03.2008, unit submitted three separate affidavit mentioning correction of all deficiencies and have asked to withdraw BG. Letter issued to the unit, Time allowed till 04.03.2009.  on 02.02.09. Letter issued to the unit 30.03.09 regarding submission of BG under all the 3 acts
CTO (renewal) applied on 19.07.05. HWM authorization applied on 07.08.06.
	Decision on 14.01.09: Request rejected. Time allowed till 04.03.2009. Call on 04.03.2009.
Decision on 04.03.09: Issue final reminder. Call on 02.04.09.
Decision on 02.04.09: Call on 12.05.09.
	Reply received from the unit on 06.04.09 and 09.04.09 and requested to waiveoff the BG.
	Insist to comply with the CMC decision. Call on 01.07.2009

	13
	Cottex Dyeing, D-98, Okhla Indl. Area, Phase-I
	washing & Dyeing of Garments
	The unit was inspected by SIT on  07.04.2008 w.r.t. reference receive from the Monitoring Committee Constituted by Hon'ble High Court of Delhi on 31/3/2008. 07.04.2008. As per the record the unit has applied for renewal of consent to operate on 02.12.2005 for Washing & Dyeing of Garments (earlier consent was valid upto 21.09.2003) and renewal of authorization under HWM Rules on 05.10.2006 (earlier authorization was issued in July 2004 for 2 years). The case was putt up in the CMC Meeting held on 11.04.2008 and as per decision notice u/s 31(A) Air Act, u/s 33(A) Water Act and u/s 5 of EPA to the unit and ATR to the Monitoring Committee were issued on 22.04.08. The unit has submitted its reply and informed that they have removed the discrepencies observed during inspection.As decided in the CMC Meeting held on 13.05.08, the case is to be putt up on 21.05.08. Finally, the case was taken in the CMC Meeting on 23.05.08 and as decided, letter was issued to the unit on 05.06.08 for submission of BG of Rs.50000 under the three Acts, CTE and Affadevit for correction of defficiencies. As decided in CMC on 18.06.2008, a letter was issued to the unit on 02.07.2008 with a copy to 
High Court Monitoring Committee. As decided in CMC on 13.08.2008, the file was put up 
administratively and as approved, the file was sent to SIT for inspection. As decided in CMC on 
07.10.08, letter has been issued for correction of deficiencies noted by SIT on 29.10.2008 and 
also to the monitoring  committee. Unit submitted its reply on 06.11.08 stated that all the 
defficiencies has been rectfied. Letter issued to the unit on 12.01.09 to file affidevit and 
photographs w.r.t. correction of defficiencies noted by SIT. Reply submit by the unit on 20.01.09 
and seeks time till 31st jan,09 for submission of affadevit and photographs for correction of 
defficiencies. Final reminder issued to the unit on 27.03.09 ragarding submiission of affidavit & photograph w.r.t correction of defficiencies.
CTO (renewal) applied on 02.04.05.
	Decision on 02.02.09: Issue final reminder. Call on 04.03.09.
Decision on 04.03.09: Issue final reminder. Call on 02.04.09.
Decision on 02.04.09: Call on 12.05.09.
	 
	Issue SCN for closure. Call on 01.07.2009

	14
	Complaint against M/s M. S. Enterprises, 19/310, Plot no. 11, Basement, Shahzada Bagh Indl. Area, Delhi-35.
	Mfg. of stainless steel railing including buffing.
	The unit was inspected on 12.12.08. w.r.t a public complaint. During inspection, unit is engaged in mfg. of stainless steel railing including buffing. Air pollution was caused due to buffing machine, no channelisation or duct is provided with the buffing machine. As approved, notice under Air Act was issued to the unit on 27.02.09. 
	Decision on 04.03.09: Decision to issue notice for closure under 31(A) of the Air Act rectified. Call on 02.04.09.
Decision on 02.04.09: Confirm the closure directions. Call on 12.05.09.
	Unit submit its reply on 17.03.09 which is received in PGRC on 20.04.09  and inform that he is going to closing down the unit as he is not able to get the licence from DPCC. Closure Direction issued to the unit under Air Act on 01.05.09
	Call on 01.07.2009

	15
	Complaint against M/s Star Enterprises, Plot no. 195, First Floor, Shahzada Bagh Indl. Area, Delhi-35.
	Mfg. of stainless steel basket.
	The unit was inspected on 02.12.08. w.r.t a public complaint. During inspection, unit is engaged in mfg. of stainless steel basket. No consent is taken by the unit for mfg. S.S. basket. CTR is taken in the name of SH. Shakeel for mfg. of PVC/Plastic products which valid upto 18.07.09 but no such unit exist in the premises. As approved,  notice under Air Act was issued to the unit on 27.02.09. CTR has been revoked on 04.03.09.Reply received from the unit on 13.03.09 and require some time to apply for CTE.
CTE(Green) valid upto 23.04.10 & applied for CTO(Green) on 06.05.09
	Decision on 04.03.09: Decision to issue notice for closure under 31(A) of the Air Act rectified. Call on 02.04.09.
Decision on 02.04.09: Ask the unit to apply for CTE & CTO by 30.04.09, failing which action as per the law will be initiated.. Call on 12.05.09.
	Letter issued to the unit  on 27.04.09 Reply received from the unit on 06.05.09 and inform that it has applied for CTE & CTO and DPCC has grant CTE to the unit 
	Shift the file to concerned CMC for putting up in CMC(Green) Committee.

	16
	Complaint against M/s Electroplating unit, 308/4/21, Shahzada Bagh Indl. Area, Delhi-35.
	Electroplating of stainless steel basket.
	The unit was inspected on 12.12.08. w.r.t a public complaint. During inspection, unit is engaged in Electroplating of stainless steel. No ETP is installed to treat the discharged effluent. As approved, notice under Water Act was issued to the unit on 27.02.09.Decision on 04.03.09: Decision to issue notice for closure under 31(A) of the Air Act rectified and to revoke consent of M/s Mohd. Shakeel as unit does not exist. Call on 02.04.09.
	Decision on 02.04.09: Confirm the closure directions. Call on 12.05.09.
	Closure direction issued to the unit on 01.05.09
	Call on 01.07.2009

	17
	M/s Golden Iron & Steel Works, 7/19 Kirti Nagar, Industrial Area, New Delhi-15.
	Steel forging
	As decided in CMC on 28.08.08, unit was inspected on 09.09.08. Letter issued on 29.09.08.It was decided in CMC on 17.09.08 that unit should detach the coal fired boiler and remove from the site. Unit should submit stack monitoring report and area needs to be demarcated for collection and storage of residue generated from heating furnace and final reminder issued to the unit on 30.10.08. 
The unit submitted its reply along with stack monitoring report and informed that the coal fired boiler has already been detached and lying in idle condition for sale. It has also been mentioned that area for storage and collection of residue has also been demarcated. Letter issued to the unit o dispose of the old boiler to scrap dealer and confirm by 25.02.09 on 09.02.09. Final reminder issued on 30.03.09. Reply received from the unit and states that they have trying to find buyer to sold the coal fired furnace. 
CTO - Refused on 08.06.07.HWM- Refused on 08.06.07. And not applied for fresh CTE/CTO application.
	Decision on 21.01.09: Ask the unit to dispose of the old boiler to scrap dealer and confirm by 25.02.09. Call on 25.02.09.
Decision on 25.02.09: Issue final reminder. Call on 02.04.09
Decision on 02.04.09: Ask the unit to apply for CTE and CTO and also submit an affidavit stating that dismantled coal fired boiler/furnace will not be utilizaed and the same be disposed off at the earliest. Call on 12.05.09.
	Letter issued to the unit on 01.05.09
	Call on 01.07.2009

	18
	Complaint against Summer Field School, Kailash Colony, Delhi 
	 School
	An inspection was carried out by DPCC Trainee Engineers on 23.07.08 w.r.t a public complaint received through Office of The Minister Of Health & Social Welfare. As approved, opportunity of hearing was accorded to the principal of the school on 29.08.08 by MS.A letter was issued to the school on 17.09.08 for submission of noise monitoring report and permission from CGWA. A letter was also issued to the Dy.C.F. (West) on 17.09.08 to ensure compensatory afforestation by the school authority. The school submitted reply on 25.09.08 informing that they have applied to G.G.S.IP University for noise monitoring and to Dy.C.(South) for permission for drawing ground water. The school submitted copy of noise monitoring report and letter sent to the Dy.C. (South) on 08.10.08 for permission for ground water vide its letter dated 18.10.08. Final reminder issued to the unit on 12.01.09. Unit submitted its reply on 19.01.09 and inform that they have applied for CGWA clearence in Dy. Comm. but it was informed by the DC office that the CGWA clearence matter has been transferred to Delhi Jal Board (Jhandewalan). Hence seeks time for obtaining the same.
	Decision on 21.01.09: Call on 25.02.09.
Decision on 25.02.09: Call on 02.04.09
Decision on 02.04.09: Issue reminder to DJB. Call on 12.05.09.
	Letter issued to DJB on 12.05.09
	Call on 01.07.2009

	19
	M/s Sagar Ratna, A-2/40, Main Najhafgarh Road, Rajouri Garden, Delhi.
	Restaurants
	Inspection was carried out by Er. Trainee on 11.12.08 w.r.t. a public complaint. During inspection, following units were inspected:
1. M/s Sagar Ratna, A-2/40, Rajouri garden (118 seating capacity). Unit has 18 Chullahs & one tandoor without any ECS.  ETP of the unit was lying in defunct condition and not in use since long. No dry or wet sludge was observed. Acoustic enclosure and adequate stack height is not provided with DG Set of 65 KVA. Letter issued to the unit to install a fresh ETP to take care of all the waste water and sludge and apply for Consent To Establish. on 12.01.09. Reply received from the unit on 20.01.09 and seeks two months time. Final reminder issued to the unit on 30.03.09. 
CTE- applied on 30.01.09.CTO- Valid upto 12.10.07.
	Decision on 25.02.09: Since it was found that unit is not operating the ETP despite having more than 100 seats, unit be asked to submit Bank Guarantee of Rs. 50,000 under Water Act valid for one year to ensure that it runs the ETP regularly. Adequacy report of ETP may also be filed. Call on 02.04.09
Decision on 02.04.09: Call on 12.05.09.
	Reply received from the unit on 15.04.09 & inform that they are in process of making BG and enclosing adequacy and test report but no enclosure found.
	Ask the unit to file adequacy report from empanelled consultant of DPCC and test report from approved laboratory of DPCC. Call on 01.07.2009 

	20
	M/s Bikanerwala, Lalit Food, A-2/43, Main Najhafgarh Road, Rajouri Garden, Delhi.
	Restaurants
	Inspection was carried out by Er. Trainee on 11.12.08 w.r.t. a public complaint. During inspection, following units were inspected:2. M/s Bikanerwala, Lalit Food, A-2/43 (100 seating capacity). Unit has 34 LPG Chullahs & 10 Diesel Chullahs. No channelisation is provided with Diesel Chullahs. Adequate stack height is not provided with DG Set of 200 KVA. Unit has obtained CTO valid upto 18.05.07. Unit has Oil & Grease trap in working condition. Letter issued to unit to install a fresh ETP and apply for renewal of consent on 14.01.09. Reply received from the unit on 20.01.09 and seeks one month time. Reply received on 19.02.09 and seeks 1 month time and also informed that they have Seating capacity less than 100 and have installed O& G cum settling tank for treating effluent and does not require ETP.The case was put up administratively, as approved, SCN issued for non installation often and operating the unit  without obtaining CTE/CTO under Air and Water Act on 30.03.09
CTE- not applied. TO- valid upto 18.05.07.
	Decision on 21.01.09: Call on 25.02.09.
Decision on 25.02.09: File to be put up administratively within a week.
Decision on 02.04.09: Call on 12.05.09.
	 
	Issue SCN for closure.Call on 01.07.2009

	21
	M/s Grover Sweets, J-1/162, Shop no. 3 & 4, Main Najhafgarh Road, Rajouri Garden, Delhi.
	Restaurants
	Inspection was carried out by Er. Trainee on 11.12.08 w.r.t. a public complaint. During inspection, following units were inspected/s Grover Sweets, J-1/162, Shop No. 3& 4 ( 7 standing tables). Unit has 2 Chullahs and one tandoor, no Ducts are provided and no oil & grease trap was provided for effluent. Letter issued to  the unit to install oil and grease trap cum settling tank on 14.01.09. Reply received from the unit on 20.01.09 and seeks one month time.
Final reminder issued on 30.03.09. CTE- not applied. TO- not applied.
	Decision on 21.01.09: Call on 25.02.09.
Decision on 25.02.09: Issue final reminder. Call on 02.04.09
Decision on 02.04.09: Call on 12.05.09.
	Reply receved from the unit on 08.04.09 & inform that they have rectified the deficiencies along with photographs
	Ask the unit to fully comply with the earlier CMC decision and also ask the unit to apply for Consent to Establish and Consent to Operate. Call on 01.07.2009

	22
	Complaint Against D.G. set  at A-14, Budh Vihar.
	Mobile tower of Airtel.
	Inspection was carried by DPCC official on 21.02.08 with reference to a Public complaint against D. G. set with Airtel mobile tower. During inspection, it was observed that the premises is used as a residence and use inverter for domestic purpose. A mobile tower has been installed at the roof top of the building with one DG Set of 15 KVA with acoustic enclosure and adequate stack height. Letter issued on 18.03.08. Decision on 29.02.2008: Ask the unit to convert to DG Set gas based/ inverter or shut down. Final reminder issued to the unit on 18.02.09. 
	Decision on 04.03.09: Call for personal hearing.
Decision on 02.04.09: The unit did not come from personal hearing today. Ask the unit to file fresh noise monitoring report from approved lab of DPCC. Also ask the unit to raise the stack height of the DG set upto appropiate level and file an affidavit in this regard.
	Letter issued to the unit on 04.05.09 regarding submission of NMR and affidavit.
	Call on 01.07.2009

	23
	The workshop,A-25, B-1Mohan Co-operative Industrial Estate, Delhi -44.
	Formulation cum service station
	An inspection was carried out by a team of DPCC official on 25.09.07 w.r.t a public complaint. Unit had no satisfactory air and water pollution control system and also had no measure under HWM Rules. The unit submitted bank guarantee of one laky under Air Act instead of separate B.G under Air Act, Water Act & HWM Rules. The unit has also submitted an affidavit regarding removal of deficiencies. A letter issued to the unit to submit B.G on 11.02.08.Reply received on 07.03.08,unit submitted B.G under Air Act and HWM Rules each.Decision on 07.12.07 : Ask the unit to submit B.G of Rs one Lakh each under Water Act, Air Act & HWM Rules.
CTE valid upto 1.04.05, CTO (orange) applied on 29.08.06, HWM authorization applied on 29.08.06.
	Decision on 14.01.09: Ask the unit to renew the Bank Guarantee for further one year under all the three Acts. Call on 04.03.2009
Decision on 04.03.09: Call for personal hearing.
Decision on 02.04.09: The unit came for personal hearing today. Unit agreed to renew the BG within 10days.
	Reply received from the uit on 13.04.09 and requested to relise original BG for extension. BG relise by account Deptt. On 29.04.09.
	Shift the file to concerned CMC. Call on 01.07.2009

	24
	S.T. Health Club, S-37, 2nd Floor, Main Market, Green Park
	Gym
	The unit was inspected by DPCC official on 10.05.08  w.r.t. a public complaint received from the residents of the area.  As decided in CMC on 13.05.08, a letter was issued to the unit on 05.06.08 for personal hearing on 09.06.08 before MS. But the same was returned back undelievred.  As decided in CMC on 18.06.08 "MS to intervene in this case & resolve. The telephone number of the unit was not traceable. Hence, PGRC inspection team got the cell no. of the coach, Mr. Rajesh working in the club and he refused to give the owner contact number.Therefore, the MS had left the massage with the coach for the owner of the health club to meet the MS,DPCC in his office, as there is a complaint against the unit for creating Air and Noise Pollution through DG Set.As decided in CMC on 13.08.08, the file was put up admistratively and as approved,  a letter was issued to the unit on 09.09.08 for installation of mandetory acoustic enclosure and adequate stack height with the DG Set.The unit was again inspected by Trainee Engineers on 25.08.08. The letter was also pasted by the Trainee Engineers on 16.09.08. No reply received.
Final reminder issued on 17.10.08. However , the same has returned back and delivered 
with the remark" left ".Decision on 18.12.08: SIT inpection found the following defficiencies:
1. One DG set of 75 KVA w/o acoustic enclosure and improper stack was lying at the roof top.
2. Oil splligae was found around the DG Set. 
Ask the unit to correct all these defficiencies and submit an affadevit and phograph in this 
regard. Letter issued.
	Decision on 21.01.09: Call for persaonal hearing on 18.02.09.
Decision on 20.02.09: Unit did not came for persanal hearing. Issue last and final reminder for personal hearing on 02.04.09.
Decision on 02.04.09: Unit did not came for persnal hearing. Issue notice for closure with pasting. Call on 12.05.09.
	Notice pasted by the Er. Trainees, PGRC on 05.05.09 and it was found that the unit has left that premises. It was also conform with the landlord of the building.However, the DG set was lying at the top floor in the same condition.
	Issue letter to landlord to submit an affidavit for not operating the D.G. Set without acoustic enclosure. Call on 01.07.2009

	25
	Complaint against unit operating near Ganga International School, Hirankudna.
	Waste Oil refining.
	Inspection was carried out by Er. Trainee w.r.t. a public complaint. During inspection, unit found engaged in Waste mobile oil refining. Unit has one oil fired furnace with inadequate stack height.Unit has two D. G. sets of 100 KVA each without accoustic enclouser and adequate stack height. The activity of the unit comes under H- category as per MPD-2001 and also mentioned in the list of prohabited category of MPD 2021. Unit is operating in non-conforming area.
	 
	 
	Issue closure directions to the unit with copy of the concerned Dy. Commissioner & Police Authorities. Call on 01.07.2009

	26
	Complaint received from Viskarma nagar resident walfare association forwarded by EPCA for noise and ambient monitoring at viskarma nagar
	Air & Noise Monitoring
	As per public complaint air and Noise monitoring was carried out by DPCC officials.  Ambient Air monitoring was undertaken at two locations 
• 97, Pratap Khand , Near Masjid, Near Railway Lines.
• 215, Pratap Khand , Near Labor Court, Near Railway Lines.
At 97, Pratap Khand SPM, RSPM and NO2 are exceeding the residential Ambient air standard for 24 hours .  While at 215, Pratap Nager SPM and RSPM are exceeding the standard while NO2 and SO2 are within the prescribed standard.Monitoring was conducted for four hours only i.e from 7 P.M to 11 P.M so it is not comparable with 24 hours standard. The monitoring wa sstopped on the request of the premises as the complaint about noise emmited by the samplers.
 Ambient Noise monitoring was undertaken at three locations following two locations are residential 
• 215, Pratap Khand , Near Labor Court, Near Railway Lines.
• 71& 72 Pratap Khand
At theses locations noise levels are exceeding the ambient noise standard of 55dB(A).
Third Monitoring was under taken at back side of M/s Veer Industry at Friends colony Industrial Area where the Noise levels are well within the limits.The ambient air 
monitoring was under taken in residential area and exceeding the ambient standard.                                          
 
	Decision on 23.04.09: An interim reply may be sent to EPCA stating that there are a large number  of units in the area and the residents has been asked to give specific names of the polluting units which are causing distress to them. As soon as the said list is received, these units will be inspected and action as per law will be taken. An independent exercise to be done to identify polluting units so that appropriate action under pollution control laws can be taken. If the complaint still persists, the DPCC will try with the resources available to do the complete survey of the area.
	 
	Wait for  minutes of the meeting taken by the EPCA. Call on 01.07.2009


