 Minutes of the 81st meeting of the Committee Constituted for Deciding the Consent under Orange Category, held on 15.10.2008 in the Conference Room of Chairman, DPCC.

   The following persons attended the meeting:

1. Sh. J. K Dadoo, Chairman DPCC

2. Sh. Anil Kumar, Member Secretary, DPCC

3. Sh. S.K.Gupta, Head Chemical Engineering Deptt. ,IIT Delhi 

4. Sh. B. Kumar, SEE, DPCC

5. Sh. M. Dwarakanth, SSO, Dept. of Env,. GNCTD.

6. EEs  of CMC-I & III.

7. AEEs of PGRC.

8. AEEs and JEE of CMC – I, II & III.

EE, CMC-II could not attend the meeting as he was on leave.

Following decisions were taken in the said meeting:- 
Agenda Item No.1-   Personal hearings of (i) Cofee Costa,S-27, Main Market, Green Park (ii) Pizza Hut, S-32, Main Market, Green Park, New Delhi (iii) Meghna Beauty Parlour (iv) Fargo Estate Pvt Ltd C-2 District Centre Saket, New Delhi (v) Brightways Housing & Land Development, Construction of Office Cum Shopping Mall at Plot no 7 Distt Centre Jasola New Delhi (vi) Gold Souk Mall, Plot no.1,sharda niketan opp. crescent public school, saraswati vihar (vii) Laxmi Buildtech Pvt Ltd ,Plot no D-1 & P3-A Saket Place (viii) Sprit Global Pvt Ltd Commercial Complex Plot no 9 Jasola District Centre (ix) Manish Buildwell Pvt. Ltd., Plot No 2, LSC, Sec-22 Dwarka , New Delhi (x) Sothern Park, D-2 District Center Saket, New Delhi (xi) Parsvnath Developers Ltd in construction with M/s OCL Ltd Commercial Complex at Seelampur Metro (xii) D Mall, Plot No 1 B-5, Twin District Centre, Sector-10, Rohini by Mera Baba Reality Associates Pvt. Ltd., 23, Vaishali, Pitampura, Delhi-85 (xiii) Omkara Developers (P) Ltd. (Mangalam Paradise), Plot No 8, Manglam Place, Sector -03, Rohini, Delhi (xiv) Sunrise Chemi Colour, Nangli Sakrawati, Delhi
(i) Cofee Costa,S-27, Main Market, Green Park , New Delhi
The unit came for personal hearing today.  PGRC, Trainee to inspect and report. Call on 24.11.2008.
(ii) Pizza Hut, S-32, Main Market, Green Park, New Delhi 

The unit came for personal hearing today.  Call on 24.11.2008 and unit be asked to file ETP completion report before that. 
(iii) Meghna Beauty Parlour, S-9, Main Market, Green Park, New Delhi 

The unit did not come for personal hearing today. Call on 24.11.2008 to confirm whether inverter has replaced the D.G. Set. 
(iv) Fargo Estate Pvt Ltd C-2 District Centre Saket, New Delhi 

The unit has taken several adjournments on several pretexts. The unit has also not appeared for personal hearing today and seeks an adjournment. The unit is directed to either comply with the direction of CMC or face immediate closure. Call on 31.10.2008.
     (v) Brightways Housing & Land Development, Construction of Office Cum Shopping Mall at Plot no 7 Distt Centre Jasola New Delhi 

The unit came for personal hearing today for seeking time. The unit has been seeking time since July, 2008 and has not complied with the orders of the CMC. The unit is given a final opportunity to comply with the order of CMC by 31.10.2008, failing which appropriate action will be taken as per law. Call on 31.10.2008 for compliance. 
     (vi) Gold Souk Mall, Plot no.1,sharda niketan opp. crescent public school, saraswati vihar 

The unit did not come for personal hearing today.  Call for personal hearing on 06.11.2008 at 5.00 PM. 

(vii) Laxmi Buildtech Pvt Ltd ,Plot no D-1 & P3-A Saket Place 

The unit did not come for personal hearing today and has sought time. The unit has not complied with the direction of CMC so far, for which notice for closure was also issued to the unit. The unit may be asked to file compliance of the CMC orders by 31.10.2008, failing which appropriate action will be taken as per law. Call on 31.10.2008.

(viii) Sprit Global Pvt Ltd Commercial Complex Plot no 9 Jasola District Centre 

The unit came for personal hearing today. It maintained that the built up area is less than 20,000 sqm. while the IIT Surveyor’s  report shows the built up area more than 20,000 sqm. The unit be confronted with the IIT Surveyor’s report and to file written reply why it should not seek environmental clearance. Also the unit to reply to the deficiencies noted by SIT. In the meantime, DPCC laboratory may be asked to do the monitoring of the waste water. The letter to the unit be issued without waiting for minutes. Call on 06.11.2008.
(ix) Manish Buildwell Pvt. Ltd., Plot No 2, LSC, Sec-22 Dwarka, New Delhi 

The unit did not come for personal hearing.  Call for personal hearing on 06.11.2008 at 5.15 PM. 

(x) Sothern Park, D-2 District Center Saket, New Delhi 
The unit did not come for personal hearing on 07.10.2008 & 15.10.2008. The unit has also not replied to the notice of closure issued on 22.08.2008. In view of the above and in view of the adverse air and water monitoring reports, directions of closure may be confirmed u/s 31(A) of the Air Act, 1981 and u/s 33(A) of the Water Act, 1974. Compliance to be brought to the CMC on 06.11.2008. The confirmation of closure directions be issued without waiting for minutes. 

(xi) Parsvnath Developers Ltd in construction with M/s OCL Ltd Commercial Complex at Seelampur Metro 

The unit came for personal hearing today. It says environment clearance has not yet been received but no construction has taken place on the site which stands corroborated by SIT report. Call on 24.11.2008 for environmental clearance.  

(xii) D Mall, Plot No 1 B-5, Twin District Centre, Sector-10, Rohini by Mera Baba Reality Associates Pvt. Ltd., 23, Vaishali, Pitampura, Delhi-85 

The unit came for personal hearing today.  It seeks a lenient view on this matter since it has paid the damages in four other hotel cases. The unit pleaded ignorance about the requirement of Consent to Establish and Environmental Clearance. The Committee deliberated on this matter and felt that the unit may be asked to get environmental clearance first and then the matter will be considered. Call on 24.11.2008. 
(xiii) Omkara Developers (P) Ltd. (Mangalam Paradise), Plot No 8, Manglam Place, Sector -03, Rohini, Delhi 

The unit came for personal hearing today and seeks 20 days time. Deficiencies noted by SIT may be communicated to the unit for correction. Call on 06.11.2008 at 5.30 PM for personal hearing and correction of deficiencies. 
(xiv) Sunrise Chemi Colour, Nangli Sakrawati, Delhi
No action. 
Agenda Item No.2 : -   Cases of Shopping Mall & Construction Project to whom Consent to Establish have been granted.

Decisions taken with respect to this agenda are tabulated and annexed as Annexure – 1.
Agenda Item No. 3-   PGRC Cases


Decisions taken with respect to this agenda are tabulated and annexed as Annexure – 2.
Agenda Item No. 4 Special reference cases.

Decisions taken with respect to this agenda are tabulated and annexed as Annexure – 3.
Agenda Item No.5-   Shopping Mall cases


Decisions taken with respect to this agenda are tabulated and annexed as Annexure – 4.
Agenda Item No.6- Construction Projects cases
Decisions taken with respect to this agenda are tabulated and annexed as Annexure – 5.
Agenda Item No.7- Cases of WIA 

This agenda could not be taken up by the Committee, due to paucity of time, and decided to take up the same in the CMC meeting to be held on 21.10.2008. 

The cases of Friends Colony Indl. Area, Naraina Indl. Area, Okhla Industrial Area and CBI references listed for 20.10.2008 are shifted to the CMC to be held on 31.10.2008

Agenda Item No.8- Cases of SMA, SSI and RUN Ind Areas

This agenda could not be taken up by the Committee, due to paucity of time, and decided to take up the same in the CMC meeting to be held on 31.10.2008. 

Agenda Item No. 9- Implementation of Plastic Act / Rules – Hon’ble       High Court order reg.
This agenda could not be taken up by the Committee, due to paucity of time, and decided to take up the same in the CMC meeting to be held on 21.10.2008. 

Agenda Item No. 10- A representation received from DSIDC regarding extremely low pH discharged by the Industries at WIA
This agenda could not be taken up by the Committee, due to paucity of time, and decided to take up the same in the CMC meeting to be held on 21.10.2008. 

Agenda Item No.11- Disconnection of electricity/power supply to the units of WIA during night 

This agenda could not be taken up by the Committee, due to paucity of time, and decided to take up the same in the CMC meeting to be held on 21.10.2008. 

Agenda Item No. 12- Representation of APIA Association regarding issuance of consent.
This agenda could not be taken up by the Committee, due to paucity of time, and decided to take up the same in the CMC meeting to be held on 21.10.2008. 

Table Agenda Item No.1:  M/s A.N. Polymer Pvt. Ltd., A-54, Naraina Industrial Area, Phase-I, New Delhi

Issue Consent to Establish. 

Table Agenda Item No. 2: M/s Ahuja Furnishers Pvt. Ltd., E-40/1, Okhla Industrial Area, Phase-II, New Delhi

Shifted to Green Committee.

Table Agenda Item No. 3: M/s Qutab Hotel, Shaheed Jeet Singh Marg, New Delhi-16
The unit must file the ISO certification by 31.12.2008. SIT to inspect and report.  Call on 24.11.2008.
Meeting ended with thanks to the Chair.
	S. No
	Ref. No
	Name & Address
	EC Status 
	CTE status
	Bult Up Area
	Water / Waste Water details
	Total Project Cost
	Date of Commissioning
	Earlier decisions
	ATR/Remarks 
	Decision on 15.10.2008

	1
	A-30
	Constuction of DLF Towers (IT Office cum Retail Building) at Plot No 1 & 2 , Najafgarh Road, New Delhi by DLF Retail Developers Ltd, DLF Centre, 9th Floor, Sansad Marg, New Delhi
	Applied for EC before SEIAA on 05.09.2008
	Applied on 30.09.2008
	Built up area : 21936.322 sqm
	MCD : 41.6 KLD/ GW : Nil KLD / WW : Nil
	104.64 Cr. 
	Dec-10
	_
	Applied for CTE on 30.09.2008 vide I.D. No. 27637.
	Ask the unit to file environmental clearance. Call on 24.11.2008

	2
	C-13
	The Mira , 1 & 2 Ishwar Nagar, New Delhi
	Not Required(Letter from MoEF dated 9.07.2007)
	Applied
	14838metre square
	MCD-Nil, GW-Quanitity not mention, Waste Water Discharge-100 KLD
	30 crore
	2006
	                   26.06.2008
As requested time allowed to file the complete documents by 31.07.2008 including ground water drawl and its permission from CGWA. Call on 31.07.2008.
                   31.07.2008
Final reminder to be issued without waiting for minutes. Call on 20.08.2008.
                     21.08.2008
Call for personal hearing on 10.09.2008 at 8:00 PM.
                    10.09.2008
The unit came for personal hearing today.  It is showing waste water discharge of 100 KLD and water consumption of 345 KLD for an office complex which appears to be very high. The unit claims that it is a mistake and seeks time for correction. Unit has also not filed the adequacy report and other details required vide CMC decision on 03.06.2008. Let the unit comply with the decision of CMC dated 03.06.2008 along with whatever corrections are to be made and file the adequacy report of STP. Call on 16.10.2008 for compliance.
	Letter issued on 19.09.2008
Reply received on 23.09.2008
	Issue reminder. Call on 24.11.2008

	3
	C-28
	M/s Kenneth Builders & Developers Pvt. Ltd., Maa Anandmayi MARG, Tehkhand, Delhi
	_
	30-5-2008
	100730 Metre square for EWS+165000 metre square for free sales unit
	MCD-2965KLD, GW-Nil, Waste waster discharge- 2668.5KLD
	 
	 
	                               21.08.2008
The unit has sought an adjournment for three weeks for appropriate presentation of their case in CMC.  Call for personal hearing on 17.09.2008, at 5.00 PM.
                      17.09.2008
The unit has filed a letter saying that they need some very important documents from DDA and till they are made available, they will not in a position to present their case. They have sought 3-4 weeks time for this.
The meeting was held in the room of Vice Chairman, DDA and it was decided that Vice Chairman, DDA on this matter last month and Chairman, DPCC, will jointly visit the site to decide whether it is a part of the ridge. In view of this decision, the matter may be adjourned for 16.10.2008. 
	Letter issued to DCF(South) on 13.06.2008. Also a letter isued to Sh. Bharat Bhushan (Director), MOEF on 26.06.2008.
Reply received from DCF (South) & MOEF.
Site is to be visited by Chairman, DPCC and VC, DDA.
	Call on 24.11.2008

	4
	C-46
	Best Park View, Plot No 14, Sector-20, Dwarka, New Delhi by Best City Developers India Private Limited
	_
	06.10.2008
	Built up area : 1066.667 sqm
	MCD - Nil / GW : 5 KLD/ WW : 3.5 KLD
	Rs. 20 crores
	Sep, 2009
	_
	Applied for CTE on 06.10.2008 vide I.D. No. 27668.
	Call on 24.11.2008

	5
	C-47
	Best Green View, Plot No 26, Sector-20, Dwarka, New Delhi by Best City Developers India Private Limited
	_
	06.10.2008
	Built up area : 893.655 sqm
	MCD - Nil / GW : 4 KLD/ WW : 3 KLD
	Rs. 19 crores
	Sep, 2009
	_
	Applied for CTE on 06.10.2008 vide I.D. No. 27667.
	Call on 24.11.2008

	TOTAL SL NO
	CMC
	S. No of CMC
	S. No
	S. No
	Ref. No
	Name & Address
	EC Status 
	CTE status
	Bult Up Area
	Water / Waste Water details
	Total Project Cost
	Date of Commissioning
	Earlier decisions
	Decision on 15.10.2008

	21
	1
	21
	29
	1
	A-21
	Purearth Infrastructure Ltd
20, Manohar lal Khurana Marg,
New Delhi - 6
	22.08.2008
	CTE issued on 14.07.2008
	217439 sqm
	MCD: 926 KLD / 787.1 KLD (STP)
	302 Cr.
	2011
	                                                   28.08.2008
The letter of the MoEF and a detailed case background may be put up before SEIAA Committee in its first meeting.
                              03.09.2008
Call on 17.09.2008.
                        30.09.2008
SIT to inspect and report on environmental clearance's conditions. Call on 30.10.2008
	Ask the unit to file six monthly monitoring report. SIT to inspect and report. Call on 24.11.2008

	1
	1
	1
	37
	2
	A-1
	Controller & Audit General (C& AG) Office Complex at  Pocket 9, Deen Dayal Upadhyay Marg, New Delhi Rouse Avenue
	31-08-06
	CTE issued and valid upto 04.03.2008
	13,942.842 Sqm 
	MCD--97 KLD   /  25,600 KLD / 71.25 KLD
	66.6811 crores
	Nov-07
	              17.3.2008
No action.
                03.6.08
Ask the unit to file the itemwise compliance of Environmental Clearance conditions. Call on 11.07.2008.
                 30.09.2008
Ask the unit to file an affidavit stating item-wise compliance of environmental clearance's conditions. Call on 30.10.2008.
	Ask the unit to apply for Consent to Operate. Call on 24.11.2008

	3
	1
	3
	38
	3
	A-3
	Construction of Office Building (MOEA) by CPWD (Jawahar Lal Nehru Bhawan, Plot No 23-D, Maulana Azad Road, New Delhi)
	22-12-06
	CTE issued on 28-02-08
	58,285 Sqm
	MCD-160 KLD/ 120 KLD (STP)   
	147 crores
	Jun-07
	             18.02.2008
Consent to Estabish granted.
              17.3.2008
No action.
                03.6.08
The Environmental Clearance clearly specifies a six monthly monitoring report to be submitted to DPCC. Ask the unit to file the report by 11.07.2008. Call on 11.07.2008.
                30.09.2008
Call on 30.10.2008
	Ask the unit to file six monthly monitoring report. Call on 24.11.2008

	6
	1
	6
	40
	4
	A-6
	Central Bureau of Investigation,Construction OF CBI Building at Plot no 5 b, CGO Complex, Lodhi Raod, New Delhi
	16.10.2007
	05-05-08
	57,320 Sqm
	MCD 220 KLD / 204 KLD (STP of 225 KLD capacity)
	137 crores Exculuding Land Cost in CTE application 
130 crores in EC..
	2008
	           18.02.2008 
Ask him to apply for fresh Consent to Establish.   
           17.3.2008
MS to speak. Take up in April, 2008.
              23.04.2008
Issue Consent to Establish and ask the unit to file item-wise compliance of environmental clearance conditions through an affidavit. 
                03.6.08
The Environmental Clearance clearly specifies a six monthly monitoring report to be submitted to DPCC. Ask the unit to file the report by 11.07.2008. Call on 11.07.2008.
                 30.09.2008
Ask the unit to file an affidavit stating item-wise compliance of environmental clearance's conditions. Call on 30.10.2008.
	Ask the unit to file six monthly monitoring report. Call on 24.11.2008

	9
	1
	9
	41
	5
	A-9
	Piccadily Hotel at District Center, Janakpuri, Delhi
	21-05-07
	CTE issued on 25.07.2008
	34067.31 Sqm in EC & 22689.31 Sqm in Application  
	MCD 300 KLD GW 240 KLD / 340 KLD
	84 crores in Application & 88 crores in EC
	__
	              03.6.08
MS reports that the unit has confirmed that it will file the Bank Guarantee soon since the MD is out of the country.  Call on 11.06.2008 for filling the Bank Guarantee
                          26.06.2008
Call on 04.07.2008.
                         30.09.2008
Ask the unit to file six monthly monitoring report of environmental clearance's conditions. Call on 30.10.2008.
	Ask the unit to apply for Consent to Operate and also file adequacy report. Call on 24.11.2008

	12
	1
	12
	43
	6
	A-12
	 Tirupati Infraprojects Private Limited, 
 "Indus Hotel & Spa" 
Plot No. - D, Paschim Vihar Dist Centre,
 New Delhi
	04.06.2008
	24-04-08
	__
	__
	__
	__
	                          28.08.2008
The unit came for personal hearing today. It sought lenient view for payment for damages and Bank Guarantee on the lines of some similar cases decided by this Committee. It also highlighted that the High Level Committee of the Government had enabled the hotel site owners to start the excavation work and seek the required clearances urgently.
The Committee deliberated on the issue for about an hour and gave several options to the project proponent. Finally the Committee decided that 10 %  of ½ % of the project cost of Rs. 475 crores i.e. Rs. 24 Lakhs may be taken as damages and equivalent amount as Bank Guarantee valid for three years. The unit has to file these two by 10.09.2008. As soon as the damages and Bank Guarantee are paid, Consent to Establish should be issued at the same time.  Call on 10.09.2008.
                          30.09.2008
Call on 30.10.2008
	Ask the unit to file six monthly monitoring report. Call on 24.11.2008

	10
	1
	10
	111
	7
	A-10
	Hindustan Petroleum Corporation Ltd. (HPCL), Mundra-Delhi Pipeline Project, Haryana Border to Tikri Kalan
	20-06-05
	Granted 06-05-08
	__
	__
	1534.84 crores
	__
	             18.02.2008
The unit has requested for extension of the Consent to Establish since DDA is yet to grant them land at Tikrikalan Village. Let the unit file a formal extension application along with consent fee. This may be considered in the next CMC on 29.02.2008.      
          17.3.2008
Take up in April, 2008.
               23.04.2008
Extended for three years from 24.01.2008.
                   03.6.08
No action.
	No action.

	19
	1
	19
	112
	8
	A-19
	P.P. Buildwell,Constrcuion of Conventional Center , District Center, Janak Puri, Delhi
	Not applied
	Applied
	__
	__
	__
	__
	                             11.07.2008
The unit came for personal hearing today. SIT inspection indicates total built up area of 4434 sqm and completion of construction work and external finishing. Interior finishing work is in progress. The total project cost is Rs. 12.87 Crores. The completion certificate was obtained on 30.05.2008. 
 Since the case does not require Environmental Clearance, and since the building has been constructed without Consent to Establish, the unit may be asked to file 0.5 % of the project cost as cash penalty and the same amount as Bank Guarantee which comes to Rs. 6 Lakhs as cash penalty and Rs. 6 Lakhs as Bank Guarantee valid for three years to be filed by 24.07.2008.  Call on 24.07.2008.
                                    24.07.2008
Unit has deposited Bank Guarantee of Rs. 6 Lakhs during the CMC meeting. Consent to Establish to be issued. Confirm on 31.07.2008.
                                  31.07.2008
No action.
	Ask the unit to apply for Consent to Operate and also file adequacy report. Call on 24.11.2008

	48
	2
	17
	63
	9
	B-17
	Anush Finlease and Construction P Ltd,, Proposed Indus Hotel & Spa
Plot No. - 11, CBD, Shahdara, Delhi - 92
	08.07.2008
	24-04-08
	29,121.91 Sqm
	264 KLD in EC / 175 KLD (STP)
	160 Crores
	2008
	                         28.08.2008
 The unit came for personal hearing today. It sought lenient view in the payment for damages and Bank Guarantee on the lines of some similar cases decided by this Committee where only excavation work had been completed. It also highlighted that the High Level Committee of the Government had enabled the hotel site owners to start the excavation work and seek the required clearances urgently.

The Committee deliberated on the issue for about an hour and gave several options to the project proponent. Finally the Committee decided that 10 %  of ½ % of the project cost of Rs. 160 crores i.e. Rs. 8 Lakhs may be taken as damages and equivalent amount as Bank Guarantee valid for three years. The unit has to file these two by 17.09.2008. As soon as the damages and Bank Guarantee are paid, Consent to Establish should be issued at the same time. Call on 17.09.2008.
                    30.09.2008
Ask the unit to file six monthly monitoring report of environmental clearance's condition. Call on 30.10.2008.
	Ask the unit to file six monthly monitoring report. Call on 24.11.2008

	32
	2
	1
	113
	10
	B-1
	Construction of proposed Hotel "Crown Plaze" at Plot No. 13-A,  13 B District Centre, Mayur Vihar, New Delhi-110096
	6/6/2007 & 16-07-07
	Granted 08-04-08
	50,702 Sqm
	MCD 270 KLD / 252 KLD (STP)
	22.50 crores
	2009
	                  18.02.2008
Prof. Gupta to inspect on 01.03.2008. EE, CMC-II to accompany him during the inspection. Inspection report to be filed during ATR meeting of these cases in March 2008.          
     17.3.2008
In view of the fact that date of construction of the unit was not made clear even during the inspection, and in view of the fact that the basement construction was started sometime before the Consent to Establish application and Environmental Clearance was received, an opportunity of being heard may be granted to the unit on 25.03.2008 at  4.30 PM. 
                    03.4.08
Personal hearing accorded. Asked to submit pealty, BG and separate CTE applications by 10.4.08
                    23.04.2008
No action.
                      03.6.08
No action.
	SIT to inspect and report. Call on 24.11.2008

	76
	3
	8
	2
	11
	C-8
	Maruti Udyog Limited , Plot No. 1 Vasant Kunj Mall, Vasant Kunj, New Delhi
	29-11-06
	13.04.2005
	24567.5 sqm
	MCD - 49.03 KLD  / 37.2 KLD
	90 crores
	Oct-08
	                               17.07.2008
The unit came for personal hearing. The unit started construction in March, 2006 about 8 months before grant of Environmental Clearance. The unit is almost at the verged of completion without obtaining Consent to Establish. The unit has total water consumption and discharge of 49 KLD which will be fully treated through an STP. Total project cost is Rs. 90 crores and considering that in similarly placed cases damages of 0.5 % of the project cost as cash penalty and 0.5 % of the project cost as Bank Guarantee has been taken, unit may be asked to do the same which amounts to Rs. 45 Lakhs as cash penalty and Rs. 45 Lakhs as Bank Guarantee valid for 3 years for complying with all environmental legislations applicable in the city.  If, the unit complies these conditions before 24.07.2008, Consent to Establish may be granted to them at the same time and the compliance report will be filed before CMC on 24.07.2008. Call on 24.07.2008.
                       24.07.2008
Since the unit has complied with decision of CMC meeting dated 17.07.2008, Consent to
 Establish has been issued.
	Ask the unit to apply for Consent to Operate and also file adequacy report. Call on 24.11.2008

	110
	3
	42
	5
	12
	C-42
	Indian Oil Corporation Ltd, Mathura Jalndhar Pipeline, Bijwasan, Delhi
	_
	16.06.2008
	32760 sqm (Plot area)
	MCD- Nil / GW - 1 KLD / WW - Nil
	27.12 crores
	July, 2009
	                               31.07.2008
Consent to Establish granted.
	SIT to inspect and report. Call on 24.11.2008

	71
	3
	3
	71
	13
	C-3
	Redevelopment of Netaji Nagar(Part) and Moti Nagar(East), New Delhi, Ministry of Urban Dwevelopment, Govt. of India, Nirman Bhawan, New Delhi
	21-03-07
	Applied
	41.98 acres
	MCD - 604 KLD / GW - 604 KLD / WW - 560 KLD
	262.85 Cr.
	Oct, 2006
	             18.02.2008
Ask the unit to submit an affidavit seeking itemwise compliance of EIA conditions.          
  17.3.2008
MS to speak . Take up in April, 2008.
            23.04.2008
Issue CTE and ask them to comply with the conditions  of Environmental Clearance which have not yet been done. Call on 21.5.2008.
                  03.6.08
Call on 11.07.2008.
             30.09.2008
Call on 30.10.2008
	Ask the unit to file six monthly monitoring report. Call on 24.11.2008

	98
	3
	30
	83
	14
	C-30
	Construction of Internal Data Center Building, at Greater Kailash-I, New Delhi
	_
	29-1-2008
	183000 Sq. metre
	MCD-Quantity not mentioned, GW-Nil, Discharge-1560 KLD
	300 Crore
	Not mentioned
	            23.04.2008
Ask him to apply for Consent to Establish. Call on 21.05.2008.
                 03.6.08
SIT to inspect and report. Call on 11.07.2008
                   31.07.2008
SIT report indicates no construction started. Consent to Establish application is not complete as the project report has not been filed. Ask the unit to file project report. Call on 03.09.2008.
                  13.08.2008
The case of M/s Internal Data Center Building, at Greater Kailash-I, New Delhi was taken up as Table Agenda Item. Due to want of time, SIT report may be submitted administratively by the SIT team for clear decision to be ratified in the next CMC meeting. 
                    28.08.2008
Issue Consent to Establish.
                    30.09.2008
Call on 30.10.2008
	Ask the unit to file six monthly monitoring report. Call on 24.11.2008

	102
	3
	34
	86
	15
	C-34
	Construction of Indus Hotel & Spa at Plot No. 4, Sector-13, Dwarka, New Delhi by M/s Divine Infracon Pvt. Ltd.
	EC obtained
	24-4-8
	65303.7 metre square
	MCD-230KLD, GW-Nil, Discharge-234KLD
	457.2 crore
	2010
	                 28.08.2008
 The unit came for personal hearing today. It sought lenient view in the payment for damages and Bank Guarantee on the lines of some similar cases decided by this Committee where only excavation work had been completed. It also highlighted that the High Level Committee of the Government had enabled the hotel site owners to start the excavation work and seek the required clearances urgently.

 The Committee deliberated on the issue for about an hour and gave several options to the project proponent. Finally the Committee decided that 10 %  of ½ % of the project cost of Rs. 457.20 crores i.e. Rs. 23 Lakhs may be taken as damages and equivalent amount as Bank Guarantee valid for three years. The unit has to file these two by 17.09.2008. As soon as the damages and Bank Guarantee are paid, Consent to Establish should be issued at the same time. Call on 17.09.2008.
                       30.09.2008
Ask the unit to file six monthly monitoring report of environmental clearance's condition. Call on 30.10.2008.
	Ask the unit to file six monthly monitoring report. Call on 24.11.2008

	73
	3
	5
	114
	16
	C-5
	ONGC Ltd., Plot No.5B, Vasant Kunj, Phase-II, New Delhi
	28-11-06
	Granted 02.04.08
	46,900 sq. mtr
	MCD 484 KLD/285kld(STP)
	450 cr in EC
	07-Jun
	     18.02.2008
Ask the unit to submit an affidavit seeking itemwise compliance of EIA conditions. Each unit must specify what is the exact activity on each of the two plots.        
  17.3.2008
Consent to Establish granted.
           23.04.2008
No action. 
               03.6.08
No action.
	Ask the unit to file six monthly monitoring report. Call on 24.11.2008

	74
	3
	6
	115
	17
	C-6
	ONGC Videsh Ltd. , Plot 5A Vasant Kunj, Phase-II, New Delhi
	 
	Granted 02.04.08
	46,900 Sq. mtr
	MCD 484 KLD/285kld(STP)
	220.71 Crore 
	Jun-07
	       18.02.2008
Ask the unit to submit an affidavit seeking itemwise compliance of EIA conditions. Each unit must specify what is the exact activity on each of the two plots.     
     17.3.2008
Consent to Establish granted.
           23.04.2008
No action. 
               03.6.08
No action.
	Ask the unit to file six monthly monitoring report. Call on 24.11.2008

	101
	3
	33
	116
	18
	C-33
	Construction of 5 star Hotel project at Plot No. 15 and 15 A, Non-Heirachial Commercial Complex, Jasola, Delhi by M/s Emmar MGF Land Pvt. Ltd.
	EC obtained
	05-01-08
	71693.80 metre square
	MCD-262KLD, GW-Nil, Discharge-236 KLD
	779 crore
	2010
	                  23.04.2008
Ask the unit to submit an application for Consent to Establish and a copy of Environmental Clearance. Call on 21.05.2008.
                  13.05.2008
Ask the unit to file application for Consent to Establish immediately and also itemwise compliance affidavit on 26 conditions under construction phase and 03 general conditions.  This may be done by 11.06.2008. Call on 11.06.2008.
                   03.6.08
SIT to inspect and report. Call on 11.06.2008
                    26.06.2008
Call for personal hearing on 18.07.2008 at 8.30 PM. 
                     17.07.2008
The unit came for personal hearing today.  The cost of the project is Rs 779 Crores. SIT report indicates excavation going on and completed upto 10 meters below ground level. 

 In view of the above, cash penalty of 10 % of the 0.5 % of the project cost i.e. Rs. 39 Lakhs and equivalent amount as Bank Guarantee valid for three years may be deposited by the unit by 31.07.2008. Call on 31.07.2008.
                      31.07.2008
No action.
	Ask the unit to file six monthly monitoring report. Call on 24.11.2008

	118
	CW
	50
	6
	19
	CW-6
	Commonwealth Village, Near Akshardham Temple
	14-12-06
	13-09-06
	2,27,640 Sqm
	MCD 3010 KLD during Games and 1225 KLD after games / 2408 KLD during Games and 980 KLD after Games
	850 Crores
	2007
	                  26.06.2008
Issue reminder. Call on 31.07.2008.
                         31.07.2008
Since all the Environmental Clearance conditons are being complied with except six monthly moniotirng report to be sent to DPCC, the unit is granted Consent to Establish with clear direction that six monthly monitoring report must be submitted to DPCC without any delay. This Consent to Establish may be sent to Commissioner, Common Wealth Games , DDA without waiting for minutes. 
	Ask the unit to file six monthly monitoring report. Call on 24.11.2008

	119
	CW
	51
	7
	20
	CW-7
	Thyagrajan Sports Complex, Thyagaraj Nagar, New Delhi
	Copy of EC not enclosed.
	11-05-07
	30539metre sqyare
	MCD-DJB, GW-Nil, Waste water-3500 LPD
	97.45 crore
	Not mentioned
	          01.05.2008
Time allowed till 03.06.2008. 
                03.6.08
Call on 11.07.2008
               26.06.2008
Consent to Establish granted.
	Ask the unit to file six monthly monitoring report. Call on 24.11.2008

	113
	CW
	45
	117
	21
	CW-1
	Dr. Karni Singh Shooting Range(Upgradation, Renovation & New Construction), Tuglakabad, New Delhi
	Having EC from MoEF
	17-9-2007
	89000 metre square
	MCD-Nil, GW-100KLD, Discharge-80 KLd
	30
	2007
	                    01.05.2008
Issue Consent to Establish.
               03.6.08
No action.
	Ask the unit to file six monthly monitoring report. Call on 24.11.2008

	114
	CW
	46
	118
	22
	CW-2
	Major Dhyan Chand National Stadium (Remodelling & Upgradation), Near India Gate, New Delhi
	YES
	Applied
	 
	 
	 
	 
	                    01.05.2008
Issue Consent to Establish.
               03.6.08
No action.
	Ask the unit to file six monthly monitoring report. Call on 24.11.2008

	115
	CW
	47
	119
	23
	CW-3
	Jawaharlal Nehru Stadium (Upgradation, Renovation & New Construction), Jawaharlal Nehru Sports Complex, New Delhi
	YES
	Applied
	 
	 
	 
	 
	                    01.05.2008
Issue Consent to Establish.
               03.6.08
No action.
	Ask the unit to file six monthly monitoring report. Call on 24.11.2008

	116
	CW
	48
	120
	24
	CW-4
	Dr. S.P. Mukherjee Swimming Complex(Upgradation, Renovation & New Construction),Talkatora, New Delhi
	YES
	Applied
	 
	 
	 
	 
	                    01.05.2008
Issue Consent to Establish.
               03.6.08
No action.
	Ask the unit to file six monthly monitoring report. Call on 24.11.2008

	117
	CW
	49
	121
	25
	CW-5
	Indira Gandhi Stadium Complex, I.G. Stadium I.P.Estate, New Delhi
	YES
	Applied
	 
	 
	 
	 
	                    01.05.2008
Issue Consent to Establish.
               03.6.08
No action.
	Ask the unit to file six monthly monitoring report. Call on 24.11.2008

	Sno.
	Name
	Activity
	Facts of The Case
	Earlier Decision
	Action Taken
	Decision on 15-10-08

	1
	Fire accident at M-15, Badli Industrial Area, Delhi-42
	Thermo plastic compound and thermoplastic master batches
	As per directions, inspection of premises no. M-15 was carried out on 29.04.08 by DPCC officials w.r.t. fire accident. As approved, letter was issued to the unit on 08.05.08 to give the details of fire, cause of fire and also file the clearance from the Fire Department for restarting operation of the unit within 10 days. Reply received along with letter of Fire Deptt. and informed that fire occur due to electric shot circuit. No misshappning and injury took place. 
	Decision on 17.09.08: SIT to inspect and report. Call on 16.10.08.
	The file was sent to SIT for inspection.
	Ask the unit to apply for Consent to Establish. File may be transferred to concerned Cell. Call on 24.11.2008.

	2
	Excel Motors, B-II, Mohan Cooperative Indl. Area, Delhi.
	Workshop
	The unit was inspected by DPCC Trainee Engineers on 08.07.08 w.r.t. a public complaint. As approved in the file, notice for correction of deficiencies was issued to the unit on 12.08.08. The same is to be ratified. Further reply was received from the unit on 08.09.08 informing that the deficiencies has been rectified. Unit has also informed that they have taken the premises on rent and using the bore well which is already existing in the premises. The unit already applied for CTE on 23.08.2007 which is pending.
	Decision on 17.09.08: SIT to inspect and report. Call on 16.10.08.
	The file was sent to SIT for inspection.
	The deficiencies noted by SIT  be communicated to the unit for correction. File may be transferred to concerned Cell. Call on 24.11.2008.

	3
	M/s Modern Dyeing Pvt. Ltd. C-2/12, Phase-II, Mayapuri Indl. Area, New Delhi-64.
	Washing & Dyeing of clothes
	The unit was inspected by DPCC Trainee Engineers on 22.08.08 w.r.t. a public complaint. As decided in CMC on 28.08.08 notice for closure u/s 31(A) of the Air Act & u/s 33(A) of the Water Act were issued on 03.09.08. 
	Decision on 17.09.08: SIT to inspect and report. Call on 16.10.08.
	The file was sent to SIT for inspection.
	Ask the unit to file adequacy report and stack monitoring report for oil fired boiler. File may be transferred to concerned Cell. Call on 24.11.2008.

	4
	Complaint against pollution & creation of nuisance at the Garden of Five Senses, Village Saidulajaib, N Delhi-30
	 
	The premises was inspected by DPCC Officials on 04.04.08 w.r.t. a public complaint received through CMO. There are two restaurants namely M/s Magique Restaurant and M/s Bauji ka Dhaba. As decided in CMC on 11.04.08,letter was issued to the Chairman, DTTDC on 30.04.08 regarding deficiencies observed during inspection. Reply received from DTTDC on 18.07.08 along with reply of individual unit. As decided in CMC on 13.08.08, the file was put up administratively and as approved, (i) Letter issued to Magique Restaurant to install ETP, apply for CTE/ CTO & use the DG Sets having necessary acoustic enclosure and adequate stack height .
(ii) Letter issued to  M/s Bauji ka Dhaba to install ETP, apply for CTE with valid MCD and Police license & use the DG Sets having necessary acoustic enclosure and adequate stack height. 
	Decision on 17.09.08: The unit has not responded to the notices issued by DPCC. Issue a final reminder. Call on 16.10.08.
	Reminder issued on 30.09.08 to both the units. Reply awaited.
	Issue reminder to both the units. Call on 24.11.2008

	5
	Complaint against M/s Sugandhi Snuff king pvt. Ltd.  at A-15, B1, Extn., Mohan Co-operative industrial Area from Sh. Vishnu Gupta through Ministry of Social & Health.
	Manufacturing of Chewing Tobacco products (ZARDA)
	The premises was inspected by DPCC Officials on 16.06.08 w.r.t. a public complaint received from Minister of Health & Social Welfare. As decided in CMC on 18.06.08, a letter was issued to the unit on 03.07.08 for submission of affidavit for correction of deficiencies, DG and installation of channelisation. As decided in CMC on 18.06.08, a letter was issued to the unit on 13.08.08, the file was put up administratively and as approved, reminder letter was issued to the unit on 05.09.08 for Submission of affidavit ,BG & installation of channelisation system. 
	Decision on 17.09.08: The unit has not responded to the notices issued by DPCC. Issue a final reminder. Call on 16.10.08.
	Reminder issued on 29.09.08 to both the units. Reply awaited.
	Issue final reminder. If it does not respond, notice for closure will be issued. Call on 24.11.2008.

	6
	M/s Golden Iron & Steel Works, 7/19 Kirti Nagar, Industrial Area, New Delhi-15.
	Steel forging
	As decided in CMC on 28.08.08, unit was inspected on 09.09.08 
	Decision on 17.09.08: Unit should detach the coal fired boiler and remove from the site. Unit should submit stack monitoring report and area needs to be demarcated for collection and storage of residue generated from heating furnace. Call on 16.10.08.
	Letter issued on 29.09.08. Reply awaited
	Issue final reminder. Call on 24.11.2008.

	7
	M/s Barbeque National, B-1/623, Janak Puri, New Delhi-1120058
	Restaurant (184 Seats)
	The unit was inspected on 11.08.2008 by DPCC Trainee Engineers with reference to a public complaint received through PGC. As approved, notice u/s 33 (A) of Water Act and a letter for submission of noise monitoring report was issued to the unit on 04.09.2008. An order of PGC dated 26.08.2008 has been received vide which certain directions with respect to Noise Pollution etc. have been given to DPCC. The unit also submitted its reply on 12.09.2008 informing that they have provided adequate stack height with the D.G. Set and applied to DPCC lab for noise monitoring. The unit also informed that they have obtained application for CTE and applied the same. The unit has also informed that they have enhanced the seating capacity from 48 to 184 in August, 2008 and an ETP will be installed according to DPCC norms. As approved, an action taken report to be filed in CMC on 10.09.2008.
	Decision on 17.09.08: The PGRC Trainee report indicates that noise monitoring report be filed and ETP may be installed. The unit may be directed to do so. Call on 16.10.08.
	Letter issued on 29.09.08. Reply awaited.
Hearing was also held in PGC on 30.09.08.The status has been apprised to PGC. However, the PGC has directed to take urgent necessary action against the unit w.r.t. noise pollution etc. caused by the unit.
	Issue final reminder  with a copy to PGC to install ETP by 24.11.2008, failing which appropriate action will be taken as per law. Call on 24.11.2008.

	8
	Tivoli Garden Resorts(A unit of TG Leisure & Resorts P Ltd) , Chattarpur, Mehrauli, N. Delhi- 30
	Resorts with Restaurant & Banquette Hall
	 
	Decision on 17.09.2008:The unit came for personal hearing today. It has filed the noise monitoring report today and seeks four weeks time to file Adequacy report and CGWA clearance. Call on 16.10.08 with a compliance report.
	Letter issued on 30.09.08 for compliance of CMC decisions.
	Issue final reminder. Call on 06.11.2008.

	9
	Complaint against Waste water flowing from Haryana to Delhi from Ambience Mall, Gurgaon, Haryana.
	Mall and Housing Society
	Joint inspection was carried out by Haryana Pollution Control Board and Delhi Pollution Control Committee on 03.07.08. During inspection it was found that the water coming beneath the Ambience Mall meet in barsati nallah and due to  blockage cesspool has been formed in Delhi Govt. land area. The Ambience Mall owner has been directed not to discharge any type of trade/Domestic Effluent directly or indirectly into the drain with immediate effect and submit undertaking in this regard.   
As per decision of CMC meeting held on 11.07.2008, letter issued to MS, HPCB and HUDA on 28.07.08. Talked with DCF(W) and it was informed that the concerned file is under submission. Further a letter has been received from the Scientist'C'-I(HQ), HPCB addressed to HUDA, Gurgaon. The file was put up administratively and as approved, reminder letter was issued to HPCB & HUDA on 05.09.2008. Reply awaited.
	Decision on 17.09.08: File be examined carefully with all the responses received so far and put up administratively.
	The file was put up administratively and as approved, reminder letter was issued to HUDA on 13.10.2008 regarding inspection of the drain, source of effluent and pollution level in the effluent. Reply awaited.
	Call on 24.11.2008 with response.

	 
	
	
	
	
	
	

	Sl.No
	Name of the unit
	Activity
	Earlier Decision, if any
	ATR/Remarks
	Decision on  15.10.2008

	1
	Premier Fine Printers Publishers Pvt. Ltd., A-244, Phase-I, Okhla Industrial Area, Delhi
	Offset printing including washing
	                     03.04.2008
Ask him to apply for Consent to Establish.
                     17.07.2008
The unit draws 3 KLD of ground water. Ask the unit to file CGWA clearance. Call on 20.08.2008. 
                       21.08.2008
Issue fresh and final notice. Call on 17.09.2008.
                      17.09.2008
SIT to inspect and report. Call on 16.10.2008.
	Unit has obtained CTO under Green category on 13.03.2003 (valid kupto 18.06.2007)
Letter issued for CTE on 17.04.2008
Applied for CTE on 04.04.2008 vide I.D. No. 25421.
Letter issued.
Reply received along with affidavit that unit is not using ground water.
SIT report to be discussed.
	Deficiencies noted by SIT be communicated to the unit for correction. Call on 06.11.2008

	2
	Haldi Ram Products Pvt. Ltd., A-19, Shivaji Marg, Najafgarh Road, New Delhi
	Sweets, snakcs & other eatable items
	                                 17.07.2008
The unit is drawing 93 KLD from the ground without CGWA clearance. Unit is also releasing 105 KLD of waste water without an ETP. Ask the unit to file CGWA clearance & install ETP immediately and confirm. The D.G. Sets must have adequate stack height and acoustic enclosure. Ask the unit to comply with all three conditions by 20.08.2008. Call on 20.08.2008.
                                 21.08.2008
The unit claims that he has already installed ETP and D. G. Sets have adequacy stack height and acoustic enclosure. Unit may be asked to submit noise monitoring report, adequacy report of ETP and CGWA clearance expeditiously. Call on 17.09.2008.
                                17.09.2008
Let the unit to file CGWA clearance. Call on 16.10.2008
	Applied for CTE on 03.12.2007 vide I.D. No. 24392.
Letter issued on 30.09.2008 for CGWA clearance.
Reply awaited.
	Call on 06.11.2008

	3
	Jagadish Prasad Triloki Nath & Co.
(Indra Cold Storage)
42, Rama Road, New Delhi - 15
	Cold storage 
	                              01.5.2008
SIT to inspect and report by 03.06.2008.
                              11.07.2008
Ask the unit to file an affidavit for correction of deficiencies observed during the inspection and submit a Bank Guarantee of Rupees One Lakh under Air Act. Call on 11.07.2008.
                              11.07.2008
Let the unit file Bank Guarantee. Call on 06.08.2008.
                            06.08.2008
Issue reminder. Call in CMC on 29.08.2008.
                            28.08.2008
His request for  waiving  of BG not accepted. Issue final reminder to submit BG. Call on 17.09.2008.
                              17.09.2008
Ask the unit to apply for Consent to Establish. Call on 16.10.2008
	Unit applied for renewal of Consent on 18.1.2006
Unit was earlier issued consent renewal on 19.3.04 valid up to 19.01.2006
Letter received again requesting for waving of BG as the adequate stack height of D.G. Sets.
Letter for CTE issued on 01.10.2008.
Reply awaited.
	Issue reminder for Consent to Establish. Call on 06.11.2008

	4
	Unlite Plastic Industries Pvt. Ltd. , 62, Najfgarh Road Industrial Area, Delhi
	Mfg .of Plastic Film
	                  28.08.2008
SIT to inspect and report.  Call on 17.09.2008.
                    17.09.2008
Ask the unit to apply for authorization under HWM Rules and raise the height of the D.G. Set . Unit may also be sent to copy of the High  Court order for compliance. Call on 16.10.2008.
	Unit was issued CTO on 16.04.2004 valid upto 22.03.2007. 
Applied for CTO(R)  on 03.07.2007.
Letter issued on 30.09.2008.
Reply awaited.
	Issue reminder. Call on 24.11.2008

	5
	Frezeking Industries Pvt. Ltd., 7/17, Kirti Nagar Industrial Area
	Cold Storage
	                13.08.2008
Ask the unit to apply for Consent to Establish.  Call on 10.09.2008.
                  10.09.2008
Call on 17.09.2008.
                    17.09.2008
Issue reminder. Call on 16.10.2008.
	Unit has obtained CTO(R) under Green category on 11.04.2005 valid upto 27.02.2010.
Applied for CTO  under Orange category on 15.06.2005 vide I.D. No. 14505.
Reminder issued on 30.09.2008.
Reply awaited.
	Issue reminder. Call on 24.11.2008

	6
	Taj Palace Hote, 2, Sardar Patel Marg, Diplomatic Enclave, New Delhi-110021
	Five Star Hotel
	_
	The unit has applied for renewal of consent on 19.05.2008. 
	SIT to inspect and report. Call on  24.11.2008

	7
	Harpreet Motors Pvt. Ltd., 68/2, Najafgarh Road, New Delhi
	Repairing & Servicing of cars
	                      17.03.2008
Ask the unit to apply for authorization under HWM Rules.
	Unit has applied for CTE. 
As decided, unit was issued a letter for seeking authorization under HWM Rules.
Unit has applied for same.
	Unit has filed incomplete application without any photoraphs / storage container and display board and without agreement letter for the waste oil with the registered recycling agency. Unit be asked to rectify the discrepancies.  Call on 24.11.2008

	 
	 
	 
	 
	 
	 

	 
	 
	 
	 
	 
	 

	S. No
	Ref. No
	Name & Address
	EC Status 
	CTE status
	Bult Up Area
	Water / Waste Water details
	Total Project Cost
	Date of Commissioning
	Earlier Decisions
	ATR/REMARKS
	Decision on 15.10.2008
	 
	 
	 
	 
	 
	 
	 
	 
	 
	 
	 
	 
	 
	 
	 
	 
	 
	 
	 Status of ECs  Issued by MoEF
	 Status of Application for CTE

	1
	SA-7
	 Sonia Theater Pvt Ltd G-1, Community Centre, Vikas Puri New Delhi-18 (AEZ Sqaure)
	Not submitted
	Not submitted
	3500 sqm
	-
	 
	Oct 01
	                         18.06.2008
The unit has filed its reply in response to our letter dated 28.05.2008. However, the unit has not indicated details of ground water drawl and requisite permission, waste water discharge details and has also not applied for Consent to Establish. It has confirmed that it has two food shops which must be generating a fair degree of waste water. The unit may be issued the final reminder to submit details of ground water drawl and its permission, waste water discharge and its treatment and Consent to Establish. If the unit fails to do so by 18.07.2008, it will be issued notice for closure. 
                             13.08.2008
Issue notice to the second restaurant  to apply for Consent to Establish. Call on 10.09.2008.
                          10.09.2008
Call on 16.10.2008
	Letter for CTE issued on 28.5.08
Reminder issued on 01.07.2008.
Unit has submitted reply on 09.07.2008 but not applied for CTE. One unit namely M/s Mc Donold's family restaurant operating in the premises has applied for CTE. 
As decided in CMC, letter issued on 28.08.2008
Reply received on 09.09.2008
	SIT to inspect and report. Call on 24.11.2008
	 
	 
	 
	 
	 
	 
	 
	 
	 
	 
	 
	 
	 
	 
	 
	 
	 
	 
	_
	Not applied for consent to Establish

	2
	SA-3
	R.C.Sood & Co. Pvt.Ltd.Proposed Shopping Mall at 10, Shivaji Palace, District centre, Raja Garden, Delhi, 
	26-03-08
	11/09/06                27-02-07
	 
	 
	 
	 
	                          17.09.2008
Both R.C. Sood, the landlord of the premises, and Shoppers’ Stop who is the single tenant of the premises attended the hearing. Unit namely R.C. Sood admits before the Committee that in the Environmental Clearance taken by them, the premises let out to Shoppers’ Stop was included. It also admits that the waste water likely to be generated by the tenant was also included in their application of Consent to Establish before DPCC. Further it admits that it was responsible for treatment of waste water likely to be generated by the single tenant. This clearly indicates that the single tenant was allowed to start operations without either taking the Consent to Establish or Consent to Operate by R.C. Sood, the landlord.  The Committee felt that in view of the above, the damages and Bank Guarantee should be in line with the decisions taken in similarly placed cases. Since the total project cost in the Consent to Establish application and affidavit filed in DPCC by R.C. Sood is Rs. 59.04 crores, the unit namely R.C. Sood has to deposit damages of 1 % of the project cost 
amounting to Rs. 59 Lakhs and 2 % of the project cost as Bank Guarantee amounting
 to Rs. 1.18 crores valid for three years for violation of the provisions of Air & Water Acts. 
The unit may be asked to submit compliance within 04 weeks i.e. by 16.10.2008. 
Call on 16.10.2008. The unit must comply with all deficiencies 
communicated to the unit. 
	Unit has not submitted any response so far.
	Call on 06.11.2008 at 5.45 PM for  personal hearing for compliance of CMC decision.
	 
	 
	 
	 
	 
	 
	 
	 
	 
	 
	 
	 
	 
	 
	 
	 
	 
	 
	26-03-08
	Applied For Consent to Establish

	3
	SA-10
	Shoppers' Stop, Plot no 10, Shivaji Place, Rajouri Garden, Delhi
	Name not included in the list of Ecs accorded/pending with MOEF(as provided by MOEF)
	Not submitted
	26454Sqm
	 
	 
	 
	                          17.09.2008
Both R.C. Sood, the landlord of the premises, and Shoppers’ Stop who is the single tenant of the premises attended the hearing. Unit namely R.C. Sood admits before the Committee that in the Environmental Clearance taken by them, the premises let out to Shoppers’ Stop was included. It also admits that the waste water likely to be generated by the tenant was also included in their application of Consent to Establish before DPCC. Further it admits that it was responsible for treatment of waste water likely to be generated by the single tenant. This clearly indicates that the single tenant was allowed to start operations without either taking the Consent to Establish or Consent to Operate by R.C. Sood, the landlord.  The Committee felt that in view of the above, the damages and Bank Guarantee should be in line with the decisions taken in similarly placed cases. Since the total project cost in the Consent to Establish application and affidavit filed in DPCC by R.C. Sood is Rs. 59.04 crores, the unit namely R.C. Sood has to deposit damages of 1 % of the project cost 
amounting to Rs. 59 Lakhs and 2 % of the project cost as Bank Guarantee amounting
 to Rs. 1.18 crores valid for three years for violation of the provisions of Air & Water Acts. 
The unit may be asked to submit compliance within 04 weeks i.e. by 16.10.2008. 
Call on 16.10.2008. The unit must comply with all deficiencies 
communicated to the unit. 
	As per CMC decision dated 31.07.2008, Chairman has given opportunity of personal hearing  to the project proponent  before CMC on 20.08.2008.
Unit has not submitted any response so far.
	Call on 06.11.2008
	 
	 
	 
	 
	 
	 
	 
	 
	 
	 
	 
	 
	 
	 
	 
	 
	 
	 
	Name not included in the list of Ecs accorded/pending with MOEF(as provided by MOEF)
	_

	4
	SA-11
	S.S. Co-Build Pvt. Ltd. proposed shopping mall "Capitol City Mall", BG-1 & BG-2, Paschim Vihar, New Delhi.
	Built up area : 13571.94 sqm
	Applied on 03.07.2008
	13571.9 sqm
	MCD : 14 KLD / MCD Sewer : 10 KLD
	136.50 Cr.
	2009
	                                          07.10.2008
 The unit came for personal hearing today.  Unit pleaded for a lenient view in view of the closure of the mall for last about three months. The unit further stated that construction has been carried out upto 30 % instead of 40 % as stated in the last hearing. The Committee deliberated on the issue and in view of the fact, that the unit was closed for more than 03 months and the plea of the unit that they were inexperienced in this matter and suffered losses on account of closure, the Committee decided to impose revised damages of Rs. 10 Lakhs as cash penalty and Rs. 20 Lakhs as a Bank Guarantee valid for three years. Unit agreed to submit the aforesaid damages and Bank Guarantee by 15.10.2008. Call on 15.10.2008 for compliance.  
	The case was discussed in the meeting of CMC held on 10.09.2008. Unit requested for one week time. The case will be put up in CMC on17.09.2008 for compliance of decision of CMC dated 10.09.2008
	Call on 21.10.2008 for compliance.
	 
	 
	 
	 
	 
	 
	 
	 
	 
	 
	 
	 
	 
	 
	 
	 
	 
	 
	Name not included in the list of Ecs accorded/pending with MOEF(as provided by MOEF)
	_

	5
	SA-14
	DLF LTD Proposed multilevel parking Cum commercial complex, sarojni nagar
	Not submitted
	Applied on 11.03.2008
	  Plot area is 3787.63sqmBuilt up area is 21887.9 Sqm 
	76.3 KLD
30.3 KLD (Municipal Authority + 46 KLD recycled water) / WW : 48.4 KLD
	80 Cr.
	May, 2010
	                                                              18.06.2008
(i)  Fresh water is 30.3 KLD without permission from CGWA for ground water drawl. 
(ii)  Waste water generation is 48.4 KLD.
(iii)  D.G. Sets of 750 KVA (2 nos.) and 500 KVA (2 nos.)
Ask the unit to file the Environmental Clearance and permission from CGWA for ground water drawl. Call on 18.07.2008.
                                 13.08.2008
The unit was issued a letter for CGWA clearance, treatment of waste water and stack height and acoustic enclosure with the D.G. Set(s). The unit has replied to this notice saying that no ground water will be used and fresh water will be taken from NDMC. It has also stated that EC is awaited. The unit is silent on waste water generation and its treatment and the D.G. Sets. On these two points, a fresh notice may be issued. Also ask the unit to expedite EIA. Call on 10.09.2008.
                               10.09.2008
Issue reminder for compliance of CMC decision on 13.08.2008. Call on 16.10.2008
	In response to a letter recevied from NDMC. A D.O. letter by MS to Sh. Vikram Dev Dutt, Secretary, NDMC has been issued on 01.08.2008.
As decided in CMC, letter issued on 28.08.2008
Unit has complied our earlier decision of CMC dated 13.08.2008
DLF has submitted a request letter on 25.08.2008 for grant of CTE.
	Ask for Environmental Clearance. Call on 24.11.2008
	 
	 
	 
	 
	 
	 
	 
	 
	 
	 
	 
	 
	 
	 
	 
	 
	 
	 
	 
	Applied For Consent to Establish on 11-03-08

	6
	SA-15
	DLF LTD Proposed multilevel parking Cum commercial complex, Baba Kharak Singh Marg
	Not submitted
	Applied on 11.03.2008
	 Plot Area is 6085.5 sqm Built up area is 33, 633.28 Sqm 
	Water : 115.9 KLD (42.4 KLD MCD + 73.5 KLD recycled treated sewage) / WW : 77.4 KLD
	130 Cr.
	May, 2010
	                                             18.06.2008
(i)  Fresh water is 42.4 KLD without permission from CGWA for ground water drawl. 
(ii)  Waste water generation is 77.4 KLD.
(iii)  D.G. Sets of 750 KVA (2 nos.) and 500 KVA (2 nos.)

Ask the unit to file the Environmental Clearance and permission from CGWA for ground water drawl. Call on 18.07.2008.
                                13.08.2008
 The unit was issued a letter for CGWA clearance, treatment of waste water and stack height and acoustic enclosure with the D.G. Set(s). The unit has replied to this notice saying that no ground water will be used and fresh water will be taken from NDMC. It has also stated that EC is awaited. The unit is silent on waste water generation and its treatment and the D.G. Sets. On these two points, a fresh notice may be issued. Also ask the unit to expedite EIA. Call on 10.09.2008.
                            10.09.2008
Issue reminder for compliance of CMC decision on 13.08.2008. Call on 16.10.2008
	As decided in CMC, letter issued on 28.08.2008
Unit has complied our earlier decision of CMC dated 13.08.2008
DLF has submitted a request letter on 25.08.2008 for grant of CTE.
	Ask for Environmental Clearance. Call on 24.11.2008
	 
	 
	 
	 
	 
	 
	 
	 
	 
	 
	 
	 
	 
	 
	 
	 
	 
	 
	 
	Applied For Consent to Establish on 11-03-08

	7
	SA-22
	Office & Commercial mall at 27, K.G. Marg, Delhi by Parsvnath Developers Ltd.
	Built up area 16783 sqm
	16.06.2008
	16783 sqn
	MCD - 81.4 KLD / WW / 36 KLD
(No STP)
	244 crores
	2010
	                                13.08.2008
SIT to inspect and report. Call on 10.09.2008
                            10.09.2008
Ask the unit to file compliance of CMC decision dated 28.05.2008. SIT indicates tree standing on the site for which MS may write to Conservator of Forest to inspect and report the factual position. Call on 16.10.2008.
	Letter issued for required information / dsocuments.
Applied for CTE on 16.06.2008 vide I.D. No. 26072.  Specific Reply not submitted but application for CTE submited on 16-06-08.
Letter for compliance of CMC decision issued on 22.09.2008.
Reply received on 26.09.2008
	Ask the unit to file the following documents :- 1. Affidavit indicating date of start of construction and date of completion. 2.  Approved architectural drawing. 3. details of ground water drawl. 4. Permission from CGWA for ground water drawl. 5. Deatils of  waste water discharge   6. Details of D.G. Sets.7. Plot area. 8. Built up Area. 9. Total project cost including the land cost. Call on 24.11.2008
	 
	 
	 
	 
	 
	 
	 
	 
	 
	 
	 
	 
	 
	 
	 
	 
	 
	 
	EC not submitted. 
	Not applied

	8
	SB-2
	Y.M.C Buildmore pvt ltd construction of Commercial Complex at plot no 12 Laxmi nagar Distt Centre (V3S Mall)
Now applied for CTO in the name of M/s Gahoi Build Well Ltd.
	 
	CTE issued on 18.04.2008.
Applied for CTO on 14.07.2008
	39093.14 sq m
	MCD-165 KLD   GW-40 KLD  DIS.-164 KLD
	165 crore
	 
	                              31.07.2008
Ask SIT to inspect w.r.t. construction phase & operation phase conditions of Environmental Clearance and for Consent to Operate application.  Call on 20.08.2008.
                                21.08.2008
SIT inspection has found certain deficiencies on the item-wise compliance of Environmental Clearance conditions. These deficiencies may be indicated to the unit for correction by 17.09.2008. Call on 17.09.2008.
                               17.09.2008
Call on 16.10.2008 in view of time requested.
	Consent to establish issued 
Unit has applied for CTO on 14.07.2008 vide I.D. No. 26445 in the name of Gahoi Buildwell Ltd. (Commercial Complex). 
Letter issued on 30.09.2008
Reply received.
	Already considered at Sl. No 8 in agenda item no 2.
	 
	 
	 
	 
	 
	 
	 
	 
	 
	 
	 
	 
	 
	 
	 
	 
	 
	 
	 08.08.2007
	Applied For Consent to Establish 

	9
	SB-7
	Rishab Ipex Mall, I.P Extension, Near Max Balaji Hospital Delhi
	NA 
	27/03/08
	666.52
	2(borewell)/ 1.6(WW)
	10Cr.
	 
	                               07.10.2008
(a) Rishab Ipex Mall, I.P Extension, Near Max Balaji Hospital Delhi 
The unit came for personal hearing today. It has promised to file the Bank Guarantee of Rs. 1 Lakh as decided by the CMC in its meeting held on 11.04.2008. The unit may be inspected after three months for any violation of Air Act. Consent to Establish may be granted as soon as the unit submits the Bank Guarantee without waiting for minutes.
(b) Rishab Corporate Tower, Karkdooma, Delhi
The unit came for personal hearing today. It says that it will file the Consent to Establish and Bank Guarantee by Friday i.e. 10.10.2008. Let the unit file Bank Guarantee along with the Consent to Establish application. Consent to Establish may be issued when Bank Guarantee is filed. 
	BG of Rs. 1 Lakh has not been submitted in the case of Rishab Ipex Mall and CTE and BG of Rs. 1 Lakh not submitted in the case of Rishab Corporate Tower, Karkardooma.
	Call on 21.10.2008 for compliance.
	 
	 
	 
	 
	 
	 
	 
	 
	 
	 
	 
	 
	 
	 
	 
	 
	 
	 
	_
	 Not Applied For Consent to Establish

	10
	SB-13
	Parsvnath Developers Ltd in construction with M/s OCL Ltd Construction of Integrated Station Building and commercial development at Inderlok Metro
	NA
	Not applied for consent to Establish
	16555(as per letter)
	Not provided
	Not provided
	Not provided
	                                18.06.2008
Issue final reminder to file documents. Meanwhile SIT to inspect and report by 18.07.2008.
                                  13.08.2008
Due to want of time, SIT report may be submitted administratively by the SIT team for clear decision to be ratified in the next CMC meeting. 
                                  17.09.2008
DMRC may be  sent a polite letter stating that Air and Water Acts does not allow any exemption. Either DMRC has to accept the responsibility or the mall has to accept the responsibility and whoever accepts these responsibilities should inform to DPCC and must apply for CTE in DPCC by 16.10.2008. Call on 16.10.2008.
	Letter issued. 
Reply received on 29.07.2008
Inspection reprot of SIT will be discussed.
	Call for personal hearing on 06.11.2008 at 6.15 PM.
	 
	 
	 
	 
	 
	 
	 
	 
	 
	 
	 
	 
	 
	 
	 
	 
	 
	 
	_
	Not applied for consent to Establish

	11
	SB-19
	Parsvnath Developers Ltd in construction with M/s OCL Ltd Construction of Integrated Station Building and commercial development at Netaji Subhash Place Metro
	Applied on 17.04.2008
	22/04/08
	29074.55
	108.95(MCD)/ 71.2(WW) (STP)
	147.1Cr.
	 
	                         30.04.2008
In this case, applications for Consent to Establish and Environmental Clearance have been filed. The total built up area is going to be 29074.55 sqm. The unit claims, it has not started construction and is awaiting Environmental Clearance. Take up on 21.05.2008 with a copy of Environmental Clearance. 
                         21.05.2008
Unit to file Environmental Clearance. Call on 18.06.2008.
                           18.06.2008
Issue final reminder to file documents. Meanwhile SIT to inspect and report by 18.07.2008.
                           13.08.2008
Due to want of time, SIT report may be submitted administratively by the SIT team for clear decision to be ratified in the next CMC meeting. 
                           17.09.2008
Call on 16.10.2008
	Letter issued on 01.07.2008. 
Reply received on 07.07.2008
SIT report to be discussed.
	Ask the unit to file environmental clearance. Call on 24.11.2008
	 
	 
	 
	 
	 
	 
	 
	 
	 
	 
	 
	 
	 
	 
	 
	 
	 
	 
	Not accorded.
	Applied for consent to Establish on 22-04-08

	12
	SB-28
	Aggarwal Plaza (P) Ltd., Plot no 29 & 31, CBD Shahdara Commercial Complex, Shahdara, Delhi
	Not obtained
	18.06.2008
	18000 (as per CTE)
31000 (as per MOEF)
	MCD - 40 KLD/ GW - 120 KLD / WW - 100 KLD
	78.55 crores
	Dec, 2008
	                            21.08.2008
CMC order stands. While CTE has been issued, ask the unit to set up STP and get the environmetal clearance from MOEF.  Call on 17.09.2008.
                           17.09.2008
Call on 16.10.2008 in view of time requested.
	Letter issued on 01.10.2008.
Reply awaited.
	Already considered at Sl. No 21 in agenda item no 2.
	 
	 
	 
	 
	 
	 
	 
	 
	 
	 
	 
	 
	 
	 
	 
	 
	 
	 
	_
	Not applied

	13
	SB-29
	Sachdewa Buildcon, Plot No 17, Karkardooma, District Centre, near AGCR Colony, Delhi
	_
	Not applied
	 
	 
	 
	 
	               18.06.2008
The unit has replied in response to the letter of DPCC dated 29.05.2008 indicating that they have started commercial building as per DDA sanction. The unit may be asked to file the following details:
(i) Permission from CGWA for ground water drawl. 
(ii) Waste water generation & its treatment.
(iii) Details of D.G. Sets along with information w.r.t. stack height and acoustic enclosure.
Call on 18.07.2008.
                    13.08.2008
The unit has filed the reply which does not answer the notice. Issue final reminder for appropriate reply. Call on 10.09.2008.
                     10.09.2008
Call on 16.10.2008
	Letter issued on 29.08.2008
Reply awaited.  
	Call for personal hearing on 06.11.2008 at 6.00 PM.
	 
	 
	 
	 
	 
	 
	 
	 
	 
	 
	 
	 
	 
	 
	 
	 
	 
	 
	_
	Not applied

	14
	SB-30
	Nippun Builders  & Development (P) Ltd.,  Karkardooma, District Centre, near AGCR Colony, Delhi
	_
	Applied on 17.06.2008
	2802 sqm
	13.5 / 10.8 (domestic effluent)
	5,59,40,179
	15.09.2004
	                   18.06.2008
The unit has filed CTE wherein he has indicated ground water drawl of 13.5 KLD without any CGWA permission. It also indicates waste water generation of 8.5 KLD without mentioning any treatment of this waste water. It has also shown one D.G. Set with acoustic enclosure but without adequate stack height. Ask the unit to file the details by 18.07.2008.
                    13.08.2008
SIT to inspect and report. Call on 10.09.2008.
                    10.09.2008
Call on 17.09.2008 with SIT report.
                    17.09.2008
Deficiencies noted by SIT may be communicated to the unit for correction. Call on 16.10.2008
	Letter issued on 30.09.2008.
Reply awaited.
	Call for personal hearing on 06.11.2008 at 6.30 PM.
	 
	 
	 
	 
	 
	 
	 
	 
	 
	 
	 
	 
	 
	 
	 
	 
	 
	 
	_
	Not applied

	15
	SB-32
	Jindal Biochem (P) Ltd., Karkardooma, District Centre, near AGCR Colony, Delhi
	_
	Not applied
	 
	 
	 
	 
	                                   13.08.2008
SIT to inspect and report. Call on 10.09.2008.
                         10.09.2008
Call on 17.09.2008 with SIT report.
                       17.09.2008
Deficiencies noted by SIT may be communicated to the unit for correction. Call on 16.10.2008
	Letter issued on 30.09.2008.
Reply awaited.
	Call for personal hearing on 06.11.2008 at 6.45 PM.
	 
	 
	 
	 
	 
	 
	 
	 
	 
	 
	 
	 
	 
	 
	 
	 
	 
	 
	_
	Not applied

	16
	SB-40
	T. R. Sawhney Heritage Mall,
Secotor - 23, Rohini, 
Delhi - 85
	NA 
	Applied on 21.5.2008
	1190
	8(GW)no permission frim CGWA/ 3(WW)
	4.67Cr.
	 
	                                      28.5.08
The built up area is 1190 sqm and the unit is drawing 8 KLD of water from the ground without permission from CGWA. The unit is also discharging 3 KLD of water with only an oil & grease trap. The unit has also one DG. Set of 125 KVA of which details have not been provided. Unit may be asked to file permission from CGWA for drawing ground water, waste water treatment details and D.G. Sets details. Call on 18.06.2008.
                                     18.06.2008
Issue final reminder on the documents asked for. Call on 18.07.2008
                                      13.08.2008
SIT to inspect and report. Call on 10.09.2008.
                                10.09.2008
Call on 17.09.2008 with SIT report.
                               17.09.2008
Deficiencies noted by SIT may be communicated to the unit for correction. Call on 16.10.2008
	Letter issued on 30.09.2008.
The same was returned back undelievered.
	Paste on premises without waiting for minutes. Call on 06.11.2008
	 
	 
	 
	 
	 
	 
	 
	 
	 
	 
	 
	 
	 
	 
	 
	 
	 
	 
	 
	Applied on 21.5.2008

	17
	SB-41
	Amtrac Automotive India Pvt. Ltd. 3A Wazirpur Indl Area, Near Deep Hyundai Service Centre, Delhi-52
	_
	not applied
	18273 sq feet(as reported)
	Borewell
	not reported
	not reported
	                        25.06.2008
SIT to inspect and report by 04.07.2008. Call on 04.07.2008.
                      13.08.2008
Due to want of time, SIT report may be submitted administratively by the SIT team for clear decision to be ratified in the next CMC meeting. 
                          17.09.2008
Letter be pasted to the premises to apply for Consent to Establish. Call on 16.10.2008.
	Letter was delievered to the unit by hand.
Reply awaited.
	Issue reminder. Call on 24.11.2008
	 
	 
	 
	 
	 
	 
	 
	 
	 
	 
	 
	 
	 
	 
	 
	 
	 
	 
	 
	 

	18
	SB-44
	Prithvi Sound Products Company (P) Ltd. (KLJ Tower North), Plot No B-5, District Centre, Wazirpur, Delhi
	_
	08.08.2008
	8058.89 sqm
	MCD - 34.7 KLD / GW - Not mentioned / WW - 31 KLD / STP - 40 KLD
	40.01 Cr. 
	2008
	                  13.08.2008
SIT to inspect and report. Call on 10.09.2008.
                 10.09.2008
Deficiencies found by SIT to be intimated to the unit for correction. Call on 16.10.2008.
	Letter issued on 19.09.2008
Reply awaited.
	Issue reminder. Call on 24.11.2008
	 
	 
	 
	 
	 
	 
	 
	 
	 
	 
	 
	 
	 
	 
	 
	 
	 
	 
	 
	 

	19
	SB-46
	Dhingra Developers Pvt. Ltd. (DD Mall) Sec-5, Cluster- E Bawana Industrial Area
	       _
	Applied on 29.08.08
	11899.9 sqm
	MCD-126 KLD
	122.98 crores
	2008
	                          10.09.2008
Ask the unit to file the following documents :- 1. Affidavit indicating date of start of construction and date of completion. 2. Completion certificate. 3. Approved architectural drawing. 4. details of water drawl. 5. Permission from CGWA for ground water drawl. 6. Deatils of  waste water discharge   7. Details of D.G. Sets.8. Plot area. 9. Built up Area. 10. Total project cost including the land. Call on 16.10.2008
	Applied for CTE on 29.08.2008 vide I.D. No. 27127
Letter issued on 19.09.2008
Reply awaited.
	Issue reminder. Call on 24.11.2008
	 
	 
	 
	 
	 
	 
	 
	 
	 
	 
	 
	 
	 
	 
	 
	 
	 
	 
	 
	 

	20
	SB-47
	Pearl Best Heights, II, Plot No C-9, Netaji Subhash Place, Pitampura, Dehi by Best Infrastructure (India) Pvt. Ltd., Best Plaza, Plot No H8, Netaji Subhash Place, Pitampura, New Delhi
	 
	10.09.2008
	Plot area : 899.64 sqm
Built up area : 8060.80 sqm
	Domestic : 24 KLD / GW : 24 KLD / WW : 19 KLD
	19 crores
	Sep. 2008
	                            17.09.2008
SIT to inspect and report. Call on 16.10.2008
	Applied for CTE on 10.09.2008 vide I.D. No. 27275.
SIT report to be discussed.
	Call for personal hearing on 06.11.2008 at 7.00 PM and also to correct the deficiencies noted by SIT. 
	 
	 
	 
	 
	 
	 
	 
	 
	 
	 
	 
	 
	 
	 
	 
	 
	 
	 
	 
	 

	21
	SB-48
	Best Sky Tower, Plot No F5, Netaji Subhash Place, Pitampura, Delhi  by Best Realtors (India) Pvt. Ltd., Best Plaza, Plot No H8, Netaji Subhash Place, Pitampura, New Delhi
	 
	10.09.2008
	Plot area : 899.64 sqm
Built up area : 9171.68 sqm
	Domestic : 26 KLD / GW : 26 KLD / WW : 21 KLD
	Rs. 22 crores
	Jan. 2009
	                            17.09.2008
SIT to inspect and report. Call on 16.10.2008
	Applied for CTE on 10.09.2008 vide I.D. No. 27270.
SIT report to be discussed.
	Call for personal hearing on 06.11.2008 at 7.15 PM and also to correct the deficiencies noted by SIT. 
	 
	 
	 
	 
	 
	 
	 
	 
	 
	 
	 
	 
	 
	 
	 
	 
	 
	 
	 
	 

	22
	SB-49
	Best Mega Mall, CSC/OCF No 7, Sector-24, Phase-III, Rohini, New Delhi
	 
	10.09.2008
	Plot area : 1661.24 sqm
Built up area : 989.548 sqm
	Domestic : 6 KLD / GW : 6 KLD / WW : 05 KLD
	Rs. 9 crores
	Feb. 2009
	                            17.09.2008
SIT to inspect and report. Call on 16.10.2008
	Applied for CTE on 10.09.2008 vide I.D. No. 27269.
SIT report to be discussed.
	Call for personal hearing on 06.11.2008 at 7.30 PM and also to correct the deficiencies noted by SIT. 
	 
	 
	 
	 
	 
	 
	 
	 
	 
	 
	 
	 
	 
	 
	 
	 
	 
	 
	 
	 

	23
	SB-50
	Pearl Best Heights, 1, Plot No A5, Netaji Subhash Place, Pitampura, New Delhiby M/s Best Infrastructure (India) Pvt. Ltd., 
	 
	10.09.2008
	Plot area : 899.64 sqm
Built up area : 8060.80 sqm
	Domestic : 24 KLD / GW : 24 KLD / WW : 19 KLD
	19 crores
	Nov. 2008
	                 17.09.2008
SIT to inspect and report. Call on 16.10.2008
	Applied for CTE on 10.09.2008 vide I.D. No. 27276.
SIT report to be discussed.
	Call for personal hearing on 06.11.2008 at 7.45 PM and also to correct the deficiencies noted by SIT. 
	 
	 
	 
	 
	 
	 
	 
	 
	 
	 
	 
	 
	 
	 
	 
	 
	 
	 
	 
	 

	24
	SC-5
	Lifestyle Building Pvt. Ltd. (construction of Commercial Complex at Plot NO 4, Jasola, Delhi
	31/10/2007
	 Not Applied For Consent to Establish, However had applied for NOC W.R.T EC on 13-09-06 . The same has been forwarded to MOEF
	26898.25 sq m
	MCD-192 KLD    GW- NIL   DIS- NIL    STP PROPOSED-100 KLD
	70 CRORE
	 
	                       23.5.08
In view of no response of the unit, issue notice for closure under Air & water Acts. Call on 18.06.2008.
                         18.06.2008
SIT to inspect and report by 18.07.2008.
                         13.08.2008
Due to want of time, SIT report may be submitted administratively by the SIT team for clear decision to be ratified in the next CMC meeting. 
                          17.09.2008
Deficiencies noted by SIT may be communicated to the unit for correction. Call on 16.10.2008
	Letter issued  on 25.09.2008 regarding SIT deficiencies.
No reply received.
	Call for personal hearing on 06.11.2008 at 8.00 PM.
	 
	 
	 
	 
	 
	 
	 
	 
	 
	 
	 
	 
	 
	 
	 
	 
	 
	 
	EC accorded by MOEF on 15-01-07. check from the site of MOEF
	 Not Applied For Consent to Establish, However had applied for NOC W.R.T EC on 13-09-06 . The same has been forwarded to MOEF

	25
	SC-13
	DLF Retail Developers Ltd. (Construction of Shopping Complex named as DLF South Court  at Plot No A1 & P2B, Saket Place, Saket, New Delhi )
	15/01/07
	25/09/07
	34871.72 sq m
	MCD-400 KLD  GW-NIL   DIS-NIL
	245.35 crore
	 
	                          28.5.08
SIT to inspect & report on 10 conditions and  on Environmental Clearance conditions. Call on 11.06.2008.
                           25.06.2008
Call for personal hearing on 31.07.2008 at 5.00 PM 
                               24.07.2008
The unit came for personal hearing today. Since DPCC is required to file its counter affidavit in the Hon’ble High Court in this case, it is in the process of doing so. Call on 12.08.2008.
                               13.08.2008
Due to want of time, SIT report may be submitted administratively by the SIT team for clear decision to be ratified in the next CMC meeting. 
                           17.09.2008
Deficiencies of SIT may be communicated in detail for correction to the unit. Call on 16.10.2008
	Letter issued  on 25.09.2008 regarding SIT deficiencies.
No reply received.
	Issue reminder without waiting for minutes. Call on 06.11.2008
	 
	 
	 
	 
	 
	 
	 
	 
	 
	 
	 
	 
	 
	 
	 
	 
	 
	 
	15-01-07
	Applied for consent to Establish on 25-09-07

	26
	SC-14
	DLF Universal Ltd.  Construction of Commercial Complex name DLF Court Yard at  Plot No. A4 & P-1A,  Saket Place, New Delhi-17
	15-01-07
	Applied for consent to Establish on 25-09-07
	 
	 
	 
	 
	                       31.07.2008
Learned counsel of DPCC has informed that in the case of DLF Universal at Plot No. A4 & P-1A, Saket Place, New Delhi-17 and immediate inspection under the Air & Water Acts must be done. SIT to be directed to do the inspection on 01.08.2008 and submit the file by 1st August administratively without fail.  SIT to be informed today without waiting from the minutes so that the work is completed by tomorrow. This matter is listed before the Court on 04.08.2008 and hence the urgency. Call on 20.8.2008.
                         21.08.2008
SIT inspection and deficiencies found may be indicated to the unit through a notice for correction. Call on 17.09.2008.
                          17.09.2008
Reminder be issued. Call on 16.10.2008
	Unit filed writ before Hon'ble High Court.
Case was heard by the High Court on 04.8.08 and the same has been adjourned on 11.12.2008
Letter issued on 25.09.2008
No reply received.
	Issue final reminder without waiting for minutes. Call on 06.11.2008
	 
	 
	 
	 
	 
	 
	 
	 
	 
	 
	 
	 
	 
	 
	 
	 
	 
	 
	15-01-07
	Applied for consent to Establish on 25-09-07

	27
	SC-16
	National Building Construction Corporation Ltd (NBCC) Construction of Community Centre  Cum Commercial Complex at Sec-5, Pushp Vihar, New Delhi
	14/3/2007
	29/10/2007
	39169 sq m
	MCD-280 KLD  GW -NIL  DIS- 96000 LPD
	100crore
	 
	                        11.03.2008
Unit may be asked an affidavit indicating date of start of construction and date of completion and approved architectural drawing, , itemwise compliance of Environmentalf Clearance conditions. Case will be taken up in April, 2008 CMC. 
                       17.04.2008
Issue notice to file compliance affidavit of all the conditions of Environmental Clearance with special reference to the conditions of construction phase which is now in operation. Issue reminder seeking missing documents also. Call on 14.05.2008.
                          23.5.08
Issue reminder to MD by MS. Call on 18.06.2008.
                          18.06.2008
MS to remind MD again. Call on 18.07.2008.
                          13.08.2008
SIT to inspect and report. Call on 10.09.2008.
                    10.09.2008
Deficiencies found by SIT to be intimated to the unit for correction. Call on 16.10.2008.
	Letter issued on 19.09.2008
No reply received.
	Issue reminder. Call on 24.11.2008
	 
	 
	 
	 
	 
	 
	 
	 
	 
	 
	 
	 
	 
	 
	 
	 
	 
	 
	14-03-07. 
	Applied for consent to Establish on 29-10-07

	28
	SC-24
	Eros Metro Mall, Sec-14, Dwarka , New Delhi
	Area < 20,000 sq. m      
	02.05.2008
	14491.761 sq m
	MCD-105 KLD  GW-NIL   DIS- 48 KLD
	132.68 crore
	2010
	                                   10.09.2008
The unit came for personal hearing today. They requested for a leniency in the earlier decision taken by CMC on 25.06.2008 which was considered by the Committee and looking into similarly placed cases decided by CMC recently where only excavation has been done, the Committee decided to impose damages of 10 % of 0.5 % of project cost which comes to Rs. 7 Lakhs approximately and equivalent amount of Bank Guarantee valid for three years to be filed by 07.10.2008. Call on 07.10.2008 for compliance.
                            07.10.2008
Call on 15.10.2008
	Reply received on 03.07.2008 with regards to personal hearing dated 25.06.2008 stating his inability to pay cash penalty & BG of Rs. 50 Lakhs respectively.
Also, a reply received on 18.07.208.
	Issue notice for closure. Call on 24.11.2008
	 
	 
	 
	 
	 
	 
	 
	 
	 
	 
	 
	 
	 
	 
	 
	 
	 
	 
	Name not included in the list of Ecs accorded/pending with MOEF(as provided by MOEF)
	Not applied for consent to Establish

	29
	SC-33
	H.l Group, Sec-11, Dwarka , New Delhi
	Name not included in the list of Ecs accorded/pending with MOEF(as provided by MOEF)
	Not applied for consent to Establish
	 
	 
	 
	 
	                     23.5.08
Call for personal hearing on 18.06.2008 at 5.00 PM.
                              18.06.2008
The unit is not very clear about the total quantity of water drawn and the total quantity of waste water that will be generated. This data may be provided to the Committee by 18.07.2008. Data on D.G. Set to be installed with acoustic enclosure and stack height may also be asked for. 
                              13.08.2008
SIT to inspect and report. Call on 10.09.2008.
                            10.09.2008
Ask the unit to apply for CTE and also to correct the deficiencies noted by SIT. Call on 16.10.2008.
	Letter issued on 19.09.2008
No reply received.
	Call for personal hearing on 06.11.2008 at 8.15 PM.
	 
	 
	 
	 
	 
	 
	 
	 
	 
	 
	 
	 
	 
	 
	 
	 
	 
	 
	Name not included in the list of Ecs accorded/pending with MOEF(as provided by MOEF)
	Not applied for consent to Establish

	30
	SC-35
	Parvsanath Developers Ltd Commercial Project At Welcome Metro Station
	Pending with MOEF check from site of MOEF.
	39329
	371178 sq m
	MCD- 517 KLD     GW-NIL  DIS-133 KLD 
	80 crore
	2008
	                               28.5.08
The unit has been issued CTE on the basis of the CMC decision of 30.04.2008 wherein it was decided that CTE will be issued to the unit if it pays the cash penalty & Bank Guarantee. This has been done and CTE was issued. Unit be asked to file compliance of Environmental Clearance conditions through an affidavit by 01.07.2008 & 01.01.2009. Call on 03.07.2008.   
                                13.08.2008
SIT to inspect and report. Call on 10.09.2008.                       
                                 10.09.2008
Ask the unit to file correction of deficiencies noted by SIT. Call on 16.10.2008
	Letter issued on 19.09.2008
No reply received.
	Already considered at Sl. No 25 in agenda item no 2.
	 
	 
	 
	 
	 
	 
	 
	 
	 
	 
	 
	 
	 
	 
	 
	 
	 
	 
	Pending with MOEF check from site of MOEF.
	Applied For Consent to Establish on 09-04-07

	S. No
	Ref. No
	Name & Address
	EC Status 
	CTE status
	Bult Up Area
	Water / Waste Water details
	Total Project Cost
	Date of Commissioning
	Earlier decisions
	ATR/Remarks 
	Decision on 15.10.2008

	1
	A-30
	Constuction of DLF Towers (IT Office cum Retail Building) at Plot No 1 & 2 , Najafgarh Road, New Delhi by DLF Retail Developers Ltd, DLF Centre, 9th Floor, Sansad Marg, New Delhi
	Applied for EC before SEIAA on 05.09.2008
	Applied on 30.09.2008
	Built up area : 21936.322 sqm
	MCD : 41.6 KLD/ GW : Nil KLD / WW : Nil
	104.64 Cr. 
	Dec-10
	_
	Applied for CTE on 30.09.2008 vide I.D. No. 27637.
	Ask the unit to file environmental clearance. Call on 24.11.2008

	2
	C-13
	The Mira , 1 & 2 Ishwar Nagar, New Delhi
	Not Required(Letter from MoEF dated 9.07.2007)
	Applied
	14838metre square
	MCD-Nil, GW-Quanitity not mention, Waste Water Discharge-100 KLD
	30 crore
	2006
	                   26.06.2008
As requested time allowed to file the complete documents by 31.07.2008 including ground water drawl and its permission from CGWA. Call on 31.07.2008.
                   31.07.2008
Final reminder to be issued without waiting for minutes. Call on 20.08.2008.
                     21.08.2008
Call for personal hearing on 10.09.2008 at 8:00 PM.
                    10.09.2008
The unit came for personal hearing today.  It is showing waste water discharge of 100 KLD and water consumption of 345 KLD for an office complex which appears to be very high. The unit claims that it is a mistake and seeks time for correction. Unit has also not filed the adequacy report and other details required vide CMC decision on 03.06.2008. Let the unit comply with the decision of CMC dated 03.06.2008 along with whatever corrections are to be made and file the adequacy report of STP. Call on 16.10.2008 for compliance.
	Letter issued on 19.09.2008
Reply received on 23.09.2008
	Issue reminder. Call on 24.11.2008

	3
	C-28
	M/s Kenneth Builders & Developers Pvt. Ltd., Maa Anandmayi MARG, Tehkhand, Delhi
	_
	30-5-2008
	100730 Metre square for EWS+165000 metre square for free sales unit
	MCD-2965KLD, GW-Nil, Waste waster discharge- 2668.5KLD
	 
	 
	                               21.08.2008
The unit has sought an adjournment for three weeks for appropriate presentation of their case in CMC.  Call for personal hearing on 17.09.2008, at 5.00 PM.
                      17.09.2008
The unit has filed a letter saying that they need some very important documents from DDA and till they are made available, they will not in a position to present their case. They have sought 3-4 weeks time for this.
The meeting was held in the room of Vice Chairman, DDA and it was decided that Vice Chairman, DDA on this matter last month and Chairman, DPCC, will jointly visit the site to decide whether it is a part of the ridge. In view of this decision, the matter may be adjourned for 16.10.2008. 
	Letter issued to DCF(South) on 13.06.2008. Also a letter isued to Sh. Bharat Bhushan (Director), MOEF on 26.06.2008.
Reply received from DCF (South) & MOEF.
Site is to be visited by Chairman, DPCC and VC, DDA.
	Call on 24.11.2008

	4
	C-46
	Best Park View, Plot No 14, Sector-20, Dwarka, New Delhi by Best City Developers India Private Limited
	_
	06.10.2008
	Built up area : 1066.667 sqm
	MCD - Nil / GW : 5 KLD/ WW : 3.5 KLD
	Rs. 20 crores
	Sep, 2009
	_
	Applied for CTE on 06.10.2008 vide I.D. No. 27668.
	Call on 24.11.2008

	5
	C-47
	Best Green View, Plot No 26, Sector-20, Dwarka, New Delhi by Best City Developers India Private Limited
	_
	06.10.2008
	Built up area : 893.655 sqm
	MCD - Nil / GW : 4 KLD/ WW : 3 KLD
	Rs. 19 crores
	Sep, 2009
	_
	Applied for CTE on 06.10.2008 vide I.D. No. 27667.
	Call on 24.11.2008


