Minutes of the 160th meeting of the Committee Constituted for Deciding the Consent under Orange Category, held on 16.03.2011 in the Conference Room of Chairman, DPCC.

   The following persons attended the meeting:

Sh. Dharmendra, Chairman, DPCC

Dr. A.K.Ambasht, Member Secretary, DPCC

Prof. S. K. Gupta, IIT-Delhi.

Sh. M. Dwarakanth, SSO, Dept. of Env., GNCTD 
Sh. B. Kumar, SEE, DPCC. 
EEs of CMC –  I, II, III & IV.


AEEs of CMC – I, II, III & IV.


Following are the minutes of the meeting:- 

Agenda Item No. 1-  Consent to Establish cases under Orange category  w.e.f. 01.12.2010 excluding the cases of  redevelopment areas considered by Scrutinizing Committee on 11.02.2011 ( 103 cases). 

Decisions recommended with respect to this agenda are tabulated and annexed as Annexure – 1. 

Agenda Item No. 2- Cases processed administratively for putting up in CMC considered by Scrutinizing Committee on 11.02.2011 (03 cases).

.

Decisions recommended with respect to this agenda are tabulated and annexed as Annexure – 2. 

Agenda Item No. 3- Inspection conducted by CMC-III, in compliance of earlier CMC's decisions, considered by Scrutinizing Committee on 11.02.2011 ( 03 cases).

Decisions recommended with respect to this agenda are tabulated and annexed as Annexure – 3. 

Agenda Item No. 4-  Consent to Operate/ Renewal cases under Orange category  w.e.f. 01.12.2010 excluding the cases of  redevelopment areas considered by Scrutinizing Committee on 28.02.2011 ( 125 cases). 

Decisions recommended with respect to this agenda are tabulated and annexed as Annexure – 4. 

Agenda Item No. 5- Cases processed administratively for putting up in CMC considered by Scrutinizing Committee on 28.02.2011 (04 cases).

.

Decisions recommended with respect to this agenda are tabulated and annexed as Annexure – 5. 
Agenda Item No. 6- One Table Agenda, considered by Scrutinizing Committee on 28.02.2011 (01 case).

Decisions recommended with respect to this agenda are tabulated and annexed as Annexure – 6. 

Table Agenda Item No 1:- M/s Lord Krishna Electronic Industries, K-83, Sector-1, DSIDC, Bawana Industrial Area, Delhi-110039, 

Issue consent to operate. 

Table Agenda Item No 2:- Regarding action to be taken against units engaged in Mfg. / Packing of Gutka, Tubacoo, Pan Masala in pursuance of MOEF notification dated 04.02.2011.

All the units engaged in activity of Gutkha, Tobacco and Pan Masala be directed to comply with Plastic Waste (Management & Handling) Rules, 2011 and shall immediately stop the use of sachets using plastic material, for storing, packing or selling of Gutkha, Tobacco and Pan Masala. 
Table Agenda Item No 3:- M/s Amrit Foundry & Engg. Works, M-52/53, Gali No 10, Anand Parbat Industrial Area, Delhi-110005
The unit is engaged in the activity of casting using cupola furnace and was issued closure directions us/ 31(A) of the Air Act on 12.10.2010 when it was observed that the unit had not installed Emission Control System (ECS). Subsequently, High Court of Delhi converted the closure directions into SCN and had asked DPCC to provide an opportunity of hearing after inspection to the unit. During the hearing, the proprietor of the unit confirmed that the cupola furnace has been dismantled and work will start only after new furnace is installed alongwith pollution control device.  Based on the hearing and second inspection, the closure directions were confirmed to the unit. Now, the unit has submitted a request for revocation of closure directions along with an affidavit stating that they have removed their cupola furnace and intend to carry out sheet cutting activity at that premises.

It was decided that as the unit wants to change the trade only, and not setting up a new unit, the closure directions issued to the unit may be revoked. However, no new CTE/ CTO shall be issued by DPCC. 

Table Agenda Item No 4:- M/s Sanjay Foundry Works, RA-28, Gali No 11, Anand Parbat Industrial Area, Delhi-110005

The unit is engaged in the activity of casting using cupola furnace and was issued closure directions us/ 31(A) of the Air Act on 12.10.2010 when it was observed that the unit had not installed Emission Control System (ECS). Subsequently, High Court of Delhi converted the closure directions into SCN and had asked DPCC to provide an opportunity of hearing after inspection to the unit. Based on the hearing and second inspection, the closure directions were confirmed to the unit. Now, the unit has submitted a request for revocation of closure directions along with an affidavit stating that all the deficiencies of ECS have been corrected. 
Although, the unit is categorized under prohibited list of the units as per MPD-2021, it was given closure directions by DPCC based on non installation of pollution control devices. The name of the unit was also forwarded to MCD, DDA & COI for taking necessary action as per the provisions of MPD-2021. However, after discussions it was felt that as the unit is covered under prohibited list of the units, the closure directions confirmed will not be revoked for continuing the cupola operations, even if the unit has now taken pollution control measures. 
Table Agenda Item No 5:- M/s Asha Foundry Works, 8/86C, Gali No 8, Anand Parbat Industrial Area, Delhi-110005

The unit is engaged in the activity of casting using cupola furnace and was issued closure directions us/ 31(A) of the Air Act on 12.10.2010 when it was observed that the unit had not installed Emission Control System (ECS). Subsequently, High Court of Delhi converted the closure directions into SCN and had asked DPCC to provide an opportunity of hearing after inspection to the unit. Based on the hearing and second inspection, the closure directions were confirmed to the unit. Now, the unit has submitted a request for revocation of closure directions along with an affidavit stating that all the deficiencies of ECS have been corrected. 
Although, the unit is categorized under prohibited list of the units as per MPD-2021, it was given closure directions by DPCC based on non installation of pollution control devices. The name of the unit was also forwarded to MCD, DDA & COI for taking necessary action as per the provisions of MPD-2021. However, after discussions it was felt that as the unit is covered under prohibited list of the units, the closure directions confirmed will not be revoked for continuing the cupola operations, even if the unit has now taken pollution control measures. 
Table Agenda Item No 6:- M/s New Adarsh Foundry Works, Plot No 49, Gali No 30, Anand Parbat Industrial Area, Delhi-110005

The unit is engaged in the activity of casting using cupola furnace and was issued closure directions us/ 31(A) of the Air Act on 12.10.2010 when it was observed that the unit had not installed Emission Control System (ECS). Subsequently, High Court of Delhi converted the closure directions into SCN and had asked DPCC to provide an opportunity of hearing after inspection to the unit. On second inspection the unit was found to have installed new ECS and on the day of hearing  i.e. on 31.12.10, the unit submitted adequacy report of the installed ECS. Considering that the unit had complied with the requirements as far as ECS was concerned, it was issued order on 25/01/11 for submission of B.G. for Rs. 1,00,000/- (Rs. 50,000 each under Air and Water Act) within 15 days. Simultaneously, the name of the unit was also forwarded to MCD, DDA & COI for taking necessary action as per the provisions of MPD-2021. However, the unit has not submitted the B.G. even after two months approx. 
It was decided to issue closure directions to the unit as it had failed to comply with the directions of DPCC.
Meeting ended with thanks to the chair.
	S. No.
	Enquiry Counter I.D. No
	Application Date
	Industry Name
	Industry Address
	Industrial Area
	Category
	Activitiy / Product
	Remarks / Action Taken / ATR
	Recommendations of Scrutinizing Committee on 11.02.2011
	Decision recommended by CMC(Orange) on 16.03.2011

	1
	35793  
	01-12-2010
	INDIGO APPAREL
	PLOT NO. D-65, PHASE-I, OKHLA INDUSTRIAL AREA
	Okhla Industrial Area
	Orange Establish
	FABRICATION FINISHING AND PACKING OF READYMADE GARMENTS UPS OF CLOTH W/O WASHING/DYEING.
	14-12-2010 : Earlier CMC Decisions 62nd (GREEN) Issue Consent to Establish without washing ,dyeing and bleaching ATR / Remarks Water Consumption : 500Lt/D Waste Water generation : (a) Domestic effluent: 300Lt/D (b) Trade effluent: Nil Date of Commissioning: July 2010 ETP : NA D G.Set : 75 KVA G W : Nil CTE(Green) issued on 11.03.2011 A public complaint was received dated 03.05.2010 Inspection carried out on 27.10.10 & following were observed: 1. The unit is engaged in mfg. of Readymade Garments and having two oil fired boiler for pressing purpose. 2. A CTE under Green category has been obtained for the activity of Fabrication,Finishing and Packing of readymade garments and made ups without washing and dyeing in the name of M/S AMARJEET SINGH which is valid upto 05.05.2011 3. Source of water is out side tanker SCN for revokation of Consent was and submission of application for CTE and CTO under orange category was issued to the unit on 18.11.2010 Letter was received from the unit on 06.12.2010 stating that they apply for CTE under Orange Category.
	Implement the CMC(Orange) decision dated 13.01.2011
	Case be put up after the implementation of CMC(Orange) decision dated 13.01.2011.

	2
	35794  
	01-12-2010
	SEA BIRD REFRIGARATION PVT LTD.
	282, PATPARGANJ INDUSTRIAL AREA
	Patparganj Industrial Area
	Orange Establish
	Mfg. of Refrigeration Machinery and parts with phosphating and painting.
	28-12-2010 : The unit was issued closure direction on 10.11.2010. It has represented that all deficiencies have been corrected and mfg of compressors have been stoped/closed. B.Gs were asked and same have been submitted.
	Recommended for grant of consent to establish without mfg of compressors.
	Issue consent to establish without mfg of compressors.

	3
	35796  
	01-12-2010
	OM ENTERPRISES
	SHED NO.3, CAT-III, DSIDC NANGLOI INDUSTRIAL AREA, ROHTAK ROAD
	Nangloi Industrial Area
	Orange Establish
	MFG OF POLYTHENE TUBE
	09-02-2011 : CTE ---- applied on 01.12.2010 vide ID no 35796. Water Consumption ---- 90 liters/day Ground Water ---- 0 liters/day Built Up Area ---- 45.5 (in sq. meter) CETP Membership ---- Not Applicable Date of commissioning of project ---- 2002 Waste Water generation Domestic Effluent ---- 75 liters/day Trade Effluent ---- 0 liters/day ETP / STP ---- N/A Test Report(Water) within Limit ---- N/A Test Report(Air) within Limit ---- N/A NMR Sumitted ---- N/A Remarks: Earlier CTO application infructous. Applied for CTO on 11.04.2007 vide ID no 21028. Applied for CTO on 02.07.2010 vide ID no 34378. Earlier CMC Decision on 30.09.2010 Ask the unit to apply for consent to establish.
	Recommended for grant of consent to establish. 
	Issue consent to establish without polythene bags. 

	4
	35805  
	02-12-2010
	KRISHNA KUMARI
	F-107, SECTOR-1, DSIDC BAWANA INDUSTRIAL AREA
	Bawana Industrial Area
	Orange Establish
	Mfg. of Plastic Products.
	04-02-2011 : Water Consumption ---- 250 liters/day Ground Water ---- 0 liters/day Built Up Area ---- 80 (in sq. meter) Cetp Membership ---- Not Applicable Date of commissioning of project ---- 01-01-2011 Waste Water generation Domestic Effluent ---- 200 liters/day Trade Effluent ---- 0 liters/day ETP / STP ---- No Test Report(Water) within Limit ---- N/A Test Report(Air) within Limit ---- N/A NMR Sumitted ---- N/A
	Recommended for grant of consent to establish with the condition to provide hood & suction arrangement followed by a duct raised well above the roof levels (at least 2.0 meter above roof level) to channelize the process emissions. 
	Issue consent to establish without use of plastic scrap with the condition to provide hood & suction arrangement followed by a duct raised well above the roof levels (at least 2.0 meter above roof level) to channelize the process emissions. 

	5
	35807
	02-12-2010
	PRINCE OPTICAL WORKS
	B-102
	GTK ROAD INDUSTRIAL AREA
	Orange Establish
	Optical Glasses and Scientific Glasses
	ATR Remarks:
SCN issued on 19.11.2010
reply received on 29.11.2010 
Letter issued for submission of bank gaurntee on 27.12.2010.
BG received on 29.12.2010
revokation of closure direction notice issued  on 30.12.2010.

CTE ---- CTE applied on 02.12.2010 with Id. no. 35807
Water Consumption ---- 4050 liters/day
Ground Water ---- 0 liters/day
Built Up Area ---- 200 (in sq. meter)
CETP Membership ---- G.T. Karnal Road Industrial Estate CETP Society
Date of commissioning of project ---- 
Waste Water generation 
  Domestic Effluent ---- 30 liters/day
  Trade Effluent ---- 2000 liters/day
ETP / STP ---- N/A
Test Report(Water) within Limit ---- N/A 
Test Report(Air) within Limit ---- N/A 
NMR Sumitted ---- N/A
	Recommended for grant of consent to establish. 
	Issue consent to establish. 

	6
	35819  
	03-12-2010
	SHANTI PLASTIC
	PLOT NO.-218, POCKET-M, SECT-5, DSIDC BAWANA INDUSTRIAL AREA
	Bawana Industrial Area
	Orange Establish
	Mfg. of PVC/Plastic Products and Moulding dies/Parts for plastic (Light engg. works)
	07-02-2011 : Water Consumption ---- 300 liters/day Ground Water ---- 0 liters/day Built Up Area ---- 90 (in sq. meter) Cetp Membership ---- Not Applicable Date of commissioning of project ----01.01.2011 Waste Water generation Domestic Effluent ---- 250 liters/day Trade Effluent ---- 0 liters/day ETP / STP ---- No Test Report(Water) within Limit ---- N/A Test Report(Air) within Limit ---- N/A NMR Sumitted ---- N/A
	Recommended for grant of consent to establish with the condition to provide hood & suction arrangement followed by a duct raised well above the roof levels (at least 2.0 meter above roof level) to channelize the process emissions. 
	Issue consent to establish without use of plastic scrap with the condition to provide hood & suction arrangement followed by a duct raised well above the roof levels (at least 2.0 meter above roof level) to channelize the process emissions. 

	7
	35820  
	03-12-2010
	CENTRAL PARK INFRA STRUCTURE DEVELOPMENT PVT. LTD.
	ASSET NO 5B,HOSPITALITY DISCTRICT,DIAL, IGI AIRPORT
	SOUTH WEST
	Orange Establish
	HOTEL
	07-02-2011 : CTE ---- Applied on 03.12.2010 vide ID no 35820. Water Consumption ---- 383000 liters/day Ground Water ---- 0 liters/day Plot Area: 6373.76 (in sq. meter) Built Up Area: 34917.35 (in sq. meter) CETP Membership ---- N/A Date of commissioning of project ---- 2011. Waste Water generation Domestic Effluent ---- 138000 liters/day Trade Effluent ---- 0 liters/day ETP / STP ---- N/A Test Report(Water) within Limit ---- N/A Test Report(Air) within Limit ---- N/A NMR Sumitted ---- N/A Status of Environment Clearance :Applied on 18.11.2010
	Ask the unit to submit environmental clearance.
	It was confirmed during the CMC that environmental clearance has been granted by SEIAA. Issue consent to establish after taking the copy of the environmental clearance on the record. 

	8
	35822  
	03-12-2010
	ENKAY ELECTRICALS (INDIA)
	J-2949, DSIDC NARELA INDUSTRIAL AREA
	Narela Industrial Area
	Orange Establish
	MFG. OF ELECTRICAL AND ELECTRONICS APPLIANCES LIGHTING FITTINGS HRC FUSES SWITCHES AND ACCESSORIES.
	10-02-2011 : CTE ---- CTE issued on 14.06.2006 and valid upto 13.06.2007 Vide C.No. 15308. Water Consumption ---- 100 liters/day Ground Water ---- 100 liters/day Built Up Area ---- 60 (in sq. meter) CETP Membership ---- Not Applicable Date of commissioning of project ---- 01.01.2011. Waste Water generation Domestic Effluent ---- 60 liters/day Trade Effluent ---- 0 liters/day ETP / STP ---- N/A Test Report(Water) within Limit ---- N/A Test Report(Air) within Limit ---- N/A NMR Sumitted ---- N/A
	Recommended for grant of consent to establish again in view of changed activiity.
	Issue consent to establish again in view of changed activiity.

	9
	35823  
	03-12-2010
	KAMAL FOOTWEAR
	PLOT NO.-122, POCKET-A, SECTOR-5, DSIDC BAWANA INDUSTRIAL AREA
	Bawana Industrial Area
	Orange Establish
	Mfg. of Plastic Footwear.
	07-02-2011 : Water Consumption ---- 100 liters/day Ground Water ---- 100 liters/day Built Up Area ---- 125 (in sq. meter) Cetp Membership ---- Not Applicable Date of commissioning of project ---- Dec 2010 Waste Water generation Domestic Effluent ---- 50 liters/day Trade Effluent ---- 0 liters/day ETP / STP ---- No Test Report(Water) within Limit ---- N/A Test Report(Air) within Limit ---- N/A NMR Sumitted ---- N/A
	Recommended for grant of consent to establish with the condition to provide hood & suction arrangement followed by a duct raised well above the roof levels (at least 2.0 meter above roof level) to channelize the process emissions. 
	Issue consent to establish without use of plastic scrap with the condition to provide hood & suction arrangement followed by a duct raised well above the roof levels (at least 2.0 meter above roof level) to channelize the process emissions. 

	10
	35826  
	03-12-2010
	KRISHNA UDYOG
	A-5/11, JHILMIL INDUSTRIAL AREA
	Jhilmil Industrial Area
	Orange Establish
	Mfg. of pressure cooker with buffing.
	03-02-2011 : Water Consumption ---- 200 liters/day Ground Water ---- 0 liters/day Built Up Area ---- 130 (in sq. meter) Cetp Membership ----yes. Jhilmil Industrial Area CETP Society Date of commissioning of project Sept 2010. Waste Water generation Domestic Effluent ---- 150 liters/day Trade Effluent ---- 0 liters/day ETP / STP ---- N/A. Test Report(Water) within Limit ---- N/A Test Report(Air) within Limit ---- N/A NMR Sumitted ---- N/A
	Ask the unit to provide technical adequacy report of  ECS (in non operational condition of unit ) in view of closure directions already issued.
	Ask the unit to provide technical adequacy report of  ECS (in non operational condition of unit ) in view of closure directions already issued.

	11
	35831  
	03-12-2010
	M/S RUCHI ENTERPRISES
	B-102, PH-II, G.T.K. ROAD INDL. AREA
	G.T. Karnal Road Industrial Area
	Orange Establish
	LAMINATION AND DIE CUTTING (JOB WORK).
	09-02-2011 : CTE ---- CTE applied on 03.12.2010 with Id. No. 35831. Water Consumption ---- 30 liters/day Ground Water ---- 0 liters/day Built Up Area ---- 37.161 (in sq. meter) CETP Membership ---- Not Applied. Date of commissioning of project ---- 01.04.2010 Waste Water generation Domestic Effluent ---- 20 liters/day Trade Effluent ---- 0 liters/day ETP / STP ---- N/A Test Report(Water) within Limit ---- N/A Test Report(Air) within Limit ---- N/A NMR Sumitted ---- N/A
	Recommended for grant of consent to establish. 
	Issue consent to establish. 

	12
	35840  
	03-12-2010
	KAMLESH KUMARI
	B-2472, DSIDC NARELA INDUSTRIAL AREA
	Narela Industrial Area
	Orange Establish
	MFG. OF PVC FOOTWEAR.
	09-02-2011 : CTE ---- CTE applied on 03.12.2010 with Id. no. 35840. Water Consumption ---- 250 liters/day Ground Water ---- 0 liters/day Built Up Area ---- 100.0825 (in sq. meter) CETP Membership ---- Not Applicable Date of commissioning of project ---- 01.01.2011. Waste Water generation Domestic Effluent ---- 60 liters/day Trade Effluent ---- 0 liters/day ETP / STP ---- N/A Test Report(Water) within Limit ---- N/A Test Report(Air) within Limit ---- N/A NMR Sumitted ---- N/A
	Recommended for grant of consent to establish with the condition to provide hood & suction arrangement followed by a duct raised well above the roof levels (at least 2.0 meter above roof level) to channelize the process emissions. 
	Issue consent to establish without use of plastic scrap with the condition to provide hood & suction arrangement followed by a duct raised well above the roof levels (at least 2.0 meter above roof level) to channelize the process emissions. 

	13
	35843  
	06-12-2010
	PARIS OFFSET PRINTERS
	A-26, NARAINA INDUSTRIAL AREA PHASE - II
	Naraina Industrial Area Phase - II
	Orange Establish
	PRINTING
	09-02-2011 : CTE :Applied on 06.12.2010 vide ID no 35843. Water Consumption ---- 200 liters/day Ground Water ---- 0 liters/day Built Up Area ---- 175 (in sq.yards) CETP Membership :yes, Naraina Industrial Area,rgistration no 706 Date of commissioning of project :1982 Waste Water generation Domestic Effluent ---- 100 liters/day Trade Effluent ---- 0 liters/day ETP / STP ---- N/A Test Report(Water) within Limit ---- N/A Test Report(Air) within Limit ---- N/A NMR Sumitted ---- N/A Remarks: CTO Issued valid upto 18.07.2009 vide consent order no 11553 under Green category. Applied for CTO_R on 19.03.2010 vide ID no 33233 under orange category. Earlier CMC Decision on 26.05.2010 Ask the unit to apply for consent to establish and fresh authorization under HWM Rules. Inform to DJB regarding extraction of ground water. Decision on 27.08.2010 Issue reminder. Letter issued to the unit on 07.07.2010. Reminder issued to the unit on 12.10.2010.
	Recommended for grant of consent to establish. 
	Issue consent to establish. 

	14
	35846  
	06-12-2010
	M.R. RUBBER INDUSTRIES
	B-48, PHASE-II, MAYAPURI INDUSTRIAL AREA
	Mayapuri Industrial Area
	Orange Establish
	MFG. OF PLASTIC PRODUCT AND PLASTIC DANA
	07-02-2011 : CTE ---- Applied on 06.12.2010 vide ID no 35846 Water Consumption ---- 300 liters/day Ground Water ---- 0 liters/day Built Up Area ---- 111 (in sq. meter) Cetp Membership ---- Not Applicable Date of commissioning of project ---- jan 2011 Waste Water generation Domestic Effluent ---- 80 liters/day Trade Effluent ---- 0 liters/day ETP / STP ---- N/A Test Report(Water) within Limit ---- N/A Test Report(Air) within Limit ---- N/A NMR Sumitted ---- N/A
	Recommended for grant of consent to establish with the condition to provide hood & suction arrangement followed by a duct raised well above the roof levels (at least 2.0 meter above roof level) to channelize the process emissions. 
	Issue consent to establish without use of plastic scrap with the condition to provide hood & suction arrangement followed by a duct raised well above the roof levels (at least 2.0 meter above roof level) to channelize the process emissions. 

	15
	35847  
	06-12-2010
	ONA FILAMENT PVT. LTD
	PLOT NO 946, POCKET-G, DSIDC, NARELA INDUSTRIAL AREA
	Narela Industrial Area
	Orange Establish
	MFG. OF PVC/PLASTIC PRODUCTS - POLYPOPLIN YARN.
	09-02-2011 : CTE ---- CTE applied on 06.12.2010 with Id. No. 35847. Water Consumption ---- 400 liters/day Ground Water ---- 0 liters/day Built Up Area ---- 210 (in sq. meter) CETP Membership ---- Not Applicable Date of commissioning of project ---- 15.01.2011. Waste Water generation Domestic Effluent ---- 250 liters/day Trade Effluent ---- 0 liters/day ETP / STP ---- N/A Test Report(Water) within Limit ---- N/A Test Report(Air) within Limit ---- N/A NMR Sumitted ---- N/A
	Recommended for grant of consent to establish with the condition to provide hood & suction arrangement followed by a duct raised well above the roof levels (at least 2.0 meter above roof level) to channelize the process emissions. 
	Issue consent to establish without use of plastic scrap with the condition to provide hood & suction arrangement followed by a duct raised well above the roof levels (at least 2.0 meter above roof level) to channelize the process emissions. 

	16
	35849  
	06-12-2010
	VEZLAY FOOD PVT. LTD.
	352, FIE PATPARGANJ INDUSTRIAL AREA
	Patparganj Industrial Area
	Orange Establish
	Manufacturing of Food Items (soya bin Items)
	03-02-2011 : Water Consumption ---- 1100 liters/day Ground Water ---- 0 liters/day Built Up Area ---- 200 (in sq. meter) Cetp Membership ---- Not Applicable Date of commissioning of project ---- 15 March,2011. Waste Water generation Domestic Effluent ---- 400 liters/day Trade Effluent ---- 500 liters/day ETP / STP ---- No. Test Report(Water) within Limit ---- N/A. Test Report(Air) within Limit ---- N/A. DG Set: Nil. NMR Sumitted ---- N/A.
	Recommended for grant of consent to establish. 
	Issue consent to establish. Subsequently, inspection be conducted.

	17
	35855  
	06-12-2010
	REECHO CAPS
	D-44, GTK, S.M.A INDUSTRIAL AREA
	S.M.A Industrial Area
	Orange Establish
	CROWN CAPS AND OFFSET PRINTING.
	08-02-2011 : CTE ---- Applied on 06.12.2010 with Id. No. 35855 Water Consumption ---- 250 liters/day Ground Water ---- 0 liters/day Built Up Area ---- 480 (in sq. meter) CETP Membership ---- Not Submitted Date of commissioning of project ---- 01-01-1989 Waste Water generation Domestic Effluent ---- 100 liters/day Trade Effluent ---- 0 liters/day ETP / STP ---- N/A Test Report(Water) within Limit ---- N/A Test Report(Air) within Limit ---- N/A NMR Sumitted ---- Yes
	Recommended for grant of consent to establish. Also ask the unit to appy for consent to operate as consent to operate application is more than 3 years old.
	Issue consent to establish. Also ask the unit to appy for consent to operate as consent to operate application is more than 3 years old.

	18
	35856  
	06-12-2010
	PARMANAND & SONS FOOD PRODUCTS PVT. LTD.
	B-20,LAWRENCE ROAD INDUSTRIAL AREA
	Lawrence Road Industrial Area
	Orange Establish
	DALL MILL.
	09-02-2011 : CTE ---- CTE applied on 06.12.2010 with Id. No. 35856. Water Consumption ---- 350 liters/day Ground Water ---- 0 liters/day Built Up Area ---- 702 (in sq. meter) CETP Membership ---- Not Applied. Date of commissioning of project ---- 01.01.2011 Waste Water generation Domestic Effluent ---- 150 liters/day Trade Effluent ---- 0 liters/day ETP / STP ---- N/A Test Report(Water) within Limit ---- N/A Test Report(Air) within Limit ---- N/A NMR Sumitted ---- N/A
	Recommended for grant of consent to establish. 
	Issue consent to establish. 

	19
	35858  
	07-12-2010
	J.S. ELECTRIC WORKS PVT.LTD
	21/1-A NARAINA INDUSTRIAL AREA PHASE-I
	Naraina Industrial Area Phase - I
	Orange Establish
	MFG OF ELECTRICAL ACCESSORIES SWITHCES TUBE LIGHTS FITTING BENDS WASS GLASS ETC
	07-02-2011 : CTE ---- applied on 07.12.2010 vide ID no 35858 Water Consumption ---- 200 liters/day Ground Water ---- 0 liters/day Built Up Area ---- 150 ( in sq. yards) CETP Membership ---- Not Applicable Date of commissioning of project ---- March, 2011 Waste Water generation Domestic Effluent ---- 100 liters/day Trade Effluent ---- 0 liters/day ETP / STP ---- N/A Test Report(Water) within Limit ---- N/A Test Report(Air) within Limit ---- N/A NMR Sumitted ---- N/A
	Recommended for grant of consent to establish. 
	Issue consent to establish. 

	20
	35861  
	07-12-2010
	KAMAL MECHANICAL WORKS
	G-201, SECTOR-3,DSIDC BAWANA INDUSTRIAL AREA
	Bawana Industrial Area
	Orange Establish
	Mfg. of Plastic Products.
	03-02-2011 : CTE ---- pending Water Consumption ---- 200 liters/day Ground Water ---- 0 liters/day Built Up Area ---- 100 (in sq. meter) Cetp Membership ---- Not Applicable Date of commissioning of project ---- 22-04-2003 Waste Water generation Domestic Effluent ---- 150 liters/day Trade Effluent ---- 0 liters/day ETP / STP ---- no Test Report(Water) within Limit ---- N/A Test Report(Air) within Limit ---- N/A NMR Sumitted ---- N/A
	Recommended for grant of consent to establish with the condition to provide hood & suction arrangement followed by a duct raised well above the roof levels (at least 2.0 meter above roof level) to channelize the process emissions. 
	Issue consent to establish without use of plastic scrap with the condition to provide hood & suction arrangement followed by a duct raised well above the roof levels (at least 2.0 meter above roof level) to channelize the process emissions. 

	21
	35864  
	07-12-2010
	TELECO CABLES
	PLOT NO.-282, POCKET-C, SECTOR-5, DSIDC BAWANA INDUSTRIAL AREA
	Bawana Industrial Area
	Orange Establish
	Manufacturing of Electric Wire Cables.
	07-02-2011 : Water Consumption ---- 100 liters/day Ground Water ---- 0 liters/day Built Up Area ---- 200 (in sq. meter) Cetp Membership ---- Not Applicable Date of commissioning of project ---- Jan 2009 Waste Water generation Domestic Effluent ---- 50 liters/day Trade Effluent ---- 0 liters/day ETP / STP ---- No Test Report(Water) within Limit ---- N/A Test Report(Air) within Limit ---- N/A NMR Sumitted ---- N/A
	Recommended for grant of consent to establish with the stipulations of MPD-2021 regarding number of workers and plot area. 
	Issue consent to establish with the stipulations of MPD-2021 regarding number of workers and plot area. 

	22
	35865  
	07-12-2010
	SHIVEX ELECTRICALS
	PLOT NO 137,POCKET-M,SECTOR-1,DSIDC BAWANA INDUSTRIAL AREA
	Bawana Industrial Area
	Orange Establish
	Manufacturing of Plastic and PVC Products.
	03-02-2011 : CTE ---- Water Consumption ---- 100 liters/day Ground Water ----0 liters/day Built Up Area ---- 80 (in sq. meter) Cetp Membership ---- Not Applicable Date of commissioning of project ---- Dec 2009 Waste Water generation Domestic Effluent ---- 50 liters/day Trade Effluent ---- 0 liters/day ETP / STP ---- no Test Report(Water) within Limit ---- N/A Test Report(Air) within Limit ---- N/A NMR Sumitted ---- N/A
	Ask the unit  to clarify the contradiction in the mfg process and the product mentioned in affidavit.
	Ask the unit  to clarify the contradiction in the mfg process and the product mentioned in affidavit.

	23
	35866  
	07-12-2010
	KHERA MOTORS
	H-1381, NARELA INDUSTRIAL AREA
	Narela Industrial Area
	Orange Establish
	MFG. OF PLASTIC DANA.
	09-02-2011 : CTE ---- CTE valid upto 02.02.2007 with C.No. 9716. Water Consumption ---- 80 liters/day Ground Water ---- 0 liters/day Built Up Area ---- 350 (in sq. meter) CETP Membership ---- Not Applicable Date of commissioning of project ---- 01.01.2011 Waste Water generation Domestic Effluent ---- 30 liters/day Trade Effluent ---- 0 liters/day ETP / STP ---- N/A Test Report(Water) within Limit ---- N/A Test Report(Air) within Limit ---- N/A NMR Sumitted ---- N/A
	Recommended for grant of consent to establish with the condition to provide hood & suction arrangement followed by a duct raised well above the roof levels (at least 2.0 meter above roof level) to channelize the process emissions. 
	Issue consent to establish without washing of scrap and with the condition to provide the hood & suction arrangement followed by stack of atleast 11 meters and to achieve the concentration of Particulate Matter and HCL mist within the limit of 150 mg/m3 and 35 mg/m3 respectively.

	24
	35867  
	07-12-2010
	PARSVNATH INDUSTRIES
	B-26/2 WAZIRPUR INDUSTRIAL AREA
	Wazirpur Industrial Area
	Orange Establish
	PRESSING AND BUFFING OF UTENSILS.
	09-02-2011 : CTE ---- CTE applied on 07.12.2010 with Id. No. 35867. Water Consumption ---- 200 liters/day Ground Water ---- 0 liters/day Built Up Area ---- 334.45 (in sq. meter) CETP Membership ---- Not Applied. Date of commissioning of project ---- 01.12.2010. Waste Water generation Domestic Effluent ---- 100 liters/day Trade Effluent ---- 0 liters/day ETP / STP ---- N/A Test Report(Water) within Limit ---- N/A Test Report(Air) within Limit ---- N/A NMR Sumitted ---- N/A
	Recommended for grant of consent to establish.  Subsequently, inspection be conducted.
	Issue consent to establish.  Subsequently, inspection be conducted.

	25
	35868  
	07-12-2010
	PREM INDUSTRY
	A-56, GROUP WAZIRPUR INDUSTRIAL AREA
	Wazirpur Industrial Area
	Orange Establish
	1.MFG. OF PLASTIC HOUSE HOLD ITEMS BY INJECTION MOULDING MACINE.2. PRESSING OF UTENSILS AND BUFFING.
	09-02-2011 : CTE ---- CTE applied on 35868 with Id. No. 35868. Water Consumption ---- 300 liters/day Ground Water ---- 0 liters/day Built Up Area ---- 334.45 (in sq. meter) CETP Membership ---- Not Applied. Date of commissioning of project ---- 01.01.2010. Waste Water generation Domestic Effluent ---- 100 liters/day Trade Effluent ---- 0 liters/day ETP / STP ---- N/A Test Report(Water) within Limit ---- N/A Test Report(Air) within Limit ---- N/A NMR Sumitted ---- N/A
	Recommended for grant of consent to establish with the condition to provide hood & suction arrangement followed by a duct raised well above the roof levels (at least 2.0 meter above roof level) to channelize the process emissions.  Subsequently, inspection be conducted.
	Issue consent to establish without use of plastic scrap with the condition to provide hood & suction arrangement followed by a duct raised well above the roof levels (at least 2.0 meter above roof level) to channelize the process emissions. 

	26
	35869  
	08-12-2010
	RAYAT ELECTRICALS
	7/22, KIRTI NAGAR INDUSTRIAL AREA
	Kirti Nagar Industrial Area
	Orange Establish
	MFG OF ASSEMBLY OF ELECTRICAL APPLIANCES WITH PAINT VARNISH POWDER COATING AND PHOSPHATING
	10-02-2011 : CTE: Applied on 08.12.2010 vide ID on 35869. Water Consumption ---- 500 liters/day Ground Water ---- 0 liters/day Built Up Area ---- 750 (in sq. meter) CETP Membership ---- Not Applicable Date of commissioning of project : 15th March, 2011. Waste Water generation Domestic Effluent ---- 150 liters/day Trade Effluent ---- 250 liters/day ETP / STP ---- N/A Test Report(Water) within Limit ---- N/A Test Report(Air) within Limit ---- N/A NMR Sumitted ---- N/A ATR/Remarks: Earlier CTO Issued valid upto 31.12.2006. CTO Issued valid upto 03.01.2007 vide consent order no 5312 under Green category. CTO_R Issued valid upto 03.01.2012 vide consent order no 18270 under Green category.
	Recommended for grant of consent to establish. 
	Issue consent to establish. Subsequently, inspection be conducted.

	27
	35871  
	08-12-2010
	PARADISE FOAM INDUSTRIES
	F-47,SECTOR-5,DSIDC BAWANA INDUSTRIAL ARE
	Bawana Industrial Area
	Orange Establish
	Mfg. of Plastic Products.
	03-02-2011 : CTE ---- pending Water Consumption ---- 200 liters/day Ground Water ---- 0 liters/day Built Up Area ---- 250 (in sq. meter) Cetp Membership ---- Not Applicable Date of commissioning of project ----15.1.2011 Waste Water generation Domestic Effluent ---- 150 liters/day Trade Effluent ---- 0 liters/day ETP / STP ---- no Test Report(Water) within Limit ---- N/A Test Report(Air) within Limit ---- N/A NMR Sumitted ---- N/A
	Recommended for grant of consent to establish with the condition to provide hood & suction arrangement followed by a duct raised well above the roof levels (at least 2.0 meter above roof level) to channelize the process emissions. 
	Issue consent to establish without use of plastic scrap with the condition to provide hood & suction arrangement followed by a duct raised well above the roof levels (at least 2.0 meter above roof level) to channelize the process emissions. 

	28
	35873  
	08-12-2010
	HANDA STORE
	5/36, KIRTI NAGAR INDUSTRIAL AREA
	Kirti Nagar Industrial Area
	Orange Establish
	MFG OF RUBBER AUTO PART WITHOUT TRADE EFFLUENT DISCHARGE
	08-02-2011 : CTE: Applied on 08.12.2010 vide ID no. 35873 Water Consumption ---- 200 liters/day Ground Water ---- 0 liters/day Built Up Area ---- 100 (in sq. meter) CETP Membership ---- Not Applicable Date of commissioning of project ---- Waste Water generation Domestic Effluent ---- 100 liters/day Trade Effluent ---- 100 liters/day ETP / STP ---- N/A Test Report(Water) within Limit ---- N/A Test Report(Air) within Limit ---- N/A NMR Sumitted ---- N/A ATR/Remarks Earlier CTO issued valid upto 01.08.2005 Applied for CTO_R on 25.07.2005 vide ID no. 15533. Applied for CTO_R on 23.07.2010 vide ID no. 34601. Applied for fresh Authorization under HWM Rules on 31.08.2004 and same was refused on 15.12.2006
	Recommended for grant of consent to establish. 
	Issue consent to establish. 

	29
	35874  
	08-12-2010
	VIR INDUSTRIES
	B-70, G.T. KARNAL ROAD INDUSTRIAL AREA
	G.T. Karnal Road Industrial Area
	Orange Establish
	MOTOR PARTS AND PLASTIC MOULDING.
	09-02-2011 : CTE ---- CTE applied on 08.12.2010 with Id. No. 35874. Water Consumption ---- 300 liters/day Ground Water ---- 0 liters/day Built Up Area ---- 200 (in sq. meter) CETP Membership ---- G.T. Karnal Road Industrial Estate CETP Society Date of commissioning of project ---- 01.02.1986. Waste Water generation Domestic Effluent ---- 200 liters/day Trade Effluent ---- 0 liters/day ETP / STP ---- N/A Test Report(Water) within Limit ---- N/A Test Report(Air) within Limit ---- N/A NMR Sumitted ---- N/A
	Recommended for grant of consent to establish. 
	Issue consent to establish with the condition to provide hood & suction arrangement followed by a duct raised well above the roof levels (at least 2.0 meter above roof level) to channelize the process emissions. 

	30
	35876  
	08-12-2010
	GARG SALES CORPORATION
	E-670,DSIDC NARELA INDUSTRIAL AREA
	Narela Industrial Area
	Orange Establish
	MFG. OF PLASTIC PRODUCTS (HOUSE HOLD ITEMS).
	09-02-2011 : CTE ---- CTE applied on 08.12.2010 with Id. No. 35876. Water Consumption ---- 200 liters/day Ground Water ---- 0 liters/day Built Up Area ---- 350 (in sq. meter) CETP Membership ---- Not Applicable Date of commissioning of project ---- 01-01-2011 Waste Water generation Domestic Effluent ---- 75 liters/day Trade Effluent ---- 0 liters/day ETP / STP ---- N/A Test Report(Water) within Limit ---- N/A Test Report(Air) within Limit ---- N/A NMR Sumitted ---- N/A
	Recommended for grant of consent to establish with the condition to provide hood & suction arrangement followed by a duct raised well above the roof levels (at least 2.0 meter above roof level) to channelize the process emissions. 
	Issue consent to establish without use of plastic scrap with the condition to provide hood & suction arrangement followed by a duct raised well above the roof levels (at least 2.0 meter above roof level) to channelize the process emissions. 

	31
	35878  
	08-12-2010
	PARKASH METALS
	PLOT NO 20,POCKET-N,SECTOR-5,DSIDC BAWANA INDUSTRIAL AREA
	Bawana Industrial Area
	Orange Establish
	Manufacturing of wire, drawing, coating and electrical cable.
	04-02-2011 : Water Consumption ---- 200 liters/day Ground Water ---- 0 liters/day Built Up Area ---- 250 (in sq. meter) Cetp Membership ---- Not Applicable Date of commissioning of project ---- 01-01-2006 Waste Water generation Domestic Effluent ---- 100 liters/day Trade Effluent ---- 0 liters/day ETP / STP ---- No Test Report(Water) within Limit ---- N/A Test Report(Air) within Limit ---- N/A NMR Sumitted ---- N/A
	Recommended for grant of consent to establish with the stipulations of MPD-2021 regarding number of workers and plot area. 
	Issue consent to establish with the stipulations of MPD-2021 regarding number of workers and plot area. 

	32
	35879  
	08-12-2010
	ARUN KUMAR CHAWLA
	PLOT NO 128,POCKET-J,SECTOR-1,DSIDC BAWNA INDUSTRIAL AREA
	Bawana Industrial Area
	Orange Establish
	Manufacturing of wire, drawing, coating and electrical cable.
	09-02-2011 : Water Consumption ---- 200 liters/day Ground Water ---- 0 liters/day Built Up Area ---- 187.5 (in sq. meter) CETP Membership ---- Not Applicable Date of commissioning of project ---- march 2011 Waste Water generation Domestic Effluent ---- 100 liters/day Trade Effluent ---- 0 liters/day ETP / STP ---- No Test Report(Water) within Limit ---- N/A Test Report(Air) within Limit ---- N/A NMR Sumitted ---- N/A
	Recommended for grant of consent to establish with the stipulations of MPD-2021 regarding number of workers and plot area. 
	Issue consent to establish with the stipulations of MPD-2021 regarding number of workers and plot area. 

	33
	35880  
	08-12-2010
	H.G. ENTERPRISES(PROP.INDERPAL SURI)
	B-11 GTK KARNAL INDUSTRIAL AREA
	G.T. Karnal Road Industrial Area
	Orange Establish
	MFG. OF PET BOTTLES.
	08-02-2011 : CTE ---- Applid on 08.12.2010 with Id. No. 35880 Water Consumption ---- 100 liters/day Ground Water ---- 0 liters/day Built Up Area ---- 100 (in sq. meter) CETP Membership ---- Not Submitted Date of commissioning of project ---- 01.03.2011 Waste Water generation Domestic Effluent ---- 80 liters/day Trade Effluent ---- 0 liters/day ETP / STP ---- N/A Test Report(Water) within Limit ---- N/A Test Report(Air) within Limit ---- N/A NMR Sumitted ---- N/A
	Recommended for grant of consent to establish with the condition to provide hood & suction arrangement followed by a duct raised well above the roof levels (at least 2.0 meter above roof level) to channelize the process emissions. 
	Issue consent to establish without use of plastic scrap with the condition to provide hood & suction arrangement followed by a duct raised well above the roof levels (at least 2.0 meter above roof level) to channelize the process emissions. 

	34
	35886  
	09-12-2010
	DEEPAK FLOUR MILLS
	PLOT NO 74, POCKET-P, SECTOR-3,DSIDC BAWANA INDUSTRIAL AREA
	Bawana Industrial Area
	Orange Establish
	Flour Mill.
	03-02-2011 : CTE ---- pending Water Consumption ---- 100 liters/day Ground Water ---- 100liters/day Built Up Area ---- 250 (in sq. meter) Cetp Membership ---- Not Applicable Date of commissioning of project ---- 05-04-2011 Waste Water generation Domestic Effluent ---- 80 liters/day Trade Effluent ---- 0 liters/day ETP / STP ---- no ECS Not submitted Test Report(Water) within Limit ---- N/A Test Report(Air) within Limit ---- N/A NMR Sumitted ---- N/A
	Recommended for grant of consent to establish.  Subsequently, inspection be conducted.
	Issue consent to establish. 

	35
	35887  
	09-12-2010
	KAY VEE ENTERPRISES
	PLOT NO 163,POCKET-D, SECTOR-4,DSIDC BAWANA INDUSTRIAL AREA
	Bawana Industrial Area
	Orange Establish
	Mfg. of Plastic products (Stationary and Drawing instruments)
	03-02-2011 : CTE ---- pending Water Consumption ---- 200 liters/day Ground Water ---- 0 liters/day Built Up Area ---- 200 (in sq. meter) Cetp Membership ---- Not Applicable Date of commissioning of project ---- Jan 2011 Waste Water generation Domestic Effluent ---- 150 liters/day Trade Effluent ---- 0 liters/day ETP / STP ---- no Test Report(Water) within Limit ---- N/A Test Report(Air) within Limit ---- N/A NMR Sumitted ---- N/A
	Recommended for grant of consent to establish with the condition to provide hood & suction arrangement followed by a duct raised well above the roof levels (at least 2.0 meter above roof level) to channelize the process emissions. 
	Issue consent to establish without use of plastic scrap with the condition to provide hood & suction arrangement followed by a duct raised well above the roof levels (at least 2.0 meter above roof level) to channelize the process emissions. 

	36
	35888  
	09-12-2010
	VULCAN ENTERPRIESE
	PLOT NO 137,SECTOR-1,POCKET-B,DSIDC BAWANA INDUSTRIAL AREA
	Bawana Industrial Area
	Orange Establish
	Mfg. of Plastic Products (Chair parts)
	03-02-2011 : CTE ---- pending Water Consumption ---- 200 liters/day Ground Water ---- 0 liters/day Built Up Area ---- 150 (in sq. meter) Cetp Membership ---- Not Applicable Date of commissioning of project ----Jan 2011 Waste Water generation Domestic Effluent ---- 150 liters/day Trade Effluent ---- 0 liters/day ETP / STP ---- no Test Report(Water) within Limit ---- N/A Test Report(Air) within Limit ---- N/A NMR Sumitted ---- N/A
	Recommended for grant of consent to establish with the condition to provide hood & suction arrangement followed by a duct raised well above the roof levels (at least 2.0 meter above roof level) to channelize the process emissions. 
	Issue consent to establish without use of plastic scrap with the condition to provide hood & suction arrangement followed by a duct raised well above the roof levels (at least 2.0 meter above roof level) to channelize the process emissions. 

	37
	35889  
	09-12-2010
	AUTO FLASH INDUSTRIES
	PLOT NO 124,POCKET-H, SECTOR-5,DSIDC BAWANA INDUSTRIAL AREA
	Bawana Industrial Area
	Orange Establish
	Mfg. of Plastic products (Stationary and Drawing instruments)
	07-02-2011 : Water Consumption ---- 200 liters/day Ground Water ---- 0 liters/day Built Up Area ---- 200 (in sq. meter) Cetp Membership ---- Not Applicable Date of commissioning of project ----Jan 2011 Waste Water generation Domestic Effluent ---- 150 liters/day Trade Effluent ---- 0 liters/day ETP / STP ---- No Test Report(Water) within Limit ---- N/A Test Report(Air) within Limit ---- N/A NMR Sumitted ---- N/A
	Recommended for grant of consent to establish with the condition to provide hood & suction arrangement followed by a duct raised well above the roof levels (at least 2.0 meter above roof level) to channelize the process emissions. 
	Issue consent to establish without use of plastic scrap with the condition to provide hood & suction arrangement followed by a duct raised well above the roof levels (at least 2.0 meter above roof level) to channelize the process emissions. 

	38
	35891  
	09-12-2010
	ALLIED INTERNATIONAL
	PLOT NO 66,SECTOR-2,POCKET-A DSIDC BAWNA INDUSTRIAL AREA
	Bawana Industrial Area
	Orange Establish
	Plastic Products (Auto Parts)
	03-02-2011 : CTE ---- pending Water Consumption ---- 200 liters/day Ground Water ---- 0 liters/day Built Up Area ---- 150 (in sq. meter) Cetp Membership ---- Not Applicable Date of commissioning of project ----jan 2011 Waste Water generation Domestic Effluent ---- 150 liters/day Trade Effluent ---- 0 liters/day ETP / STP ---- no Test Report(Water) within Limit ---- N/A Test Report(Air) within Limit ---- N/A NMR Sumitted ---- N/A
	Recommended for grant of consent to establish with the condition to provide hood & suction arrangement followed by a duct raised well above the roof levels (at least 2.0 meter above roof level) to channelize the process emissions. 
	Issue consent to establish without use of plastic scrap with the condition to provide hood & suction arrangement followed by a duct raised well above the roof levels (at least 2.0 meter above roof level) to channelize the process emissions. 

	39
	35892  
	09-12-2010
	GARG TRADING CO.
	A-186,DSIDC NARELA INDUSTRIAL AREA
	Narela Industrial Area
	Orange Establish
	PRODUCTION OF CATTLE FEED / FODDER PROCESSING (WITHOUT TRADE EFFLUENT DISCHARGE).
	09-02-2011 : CTE ---- CTE applied on 09.12.2010 with Id. no. 35892. Water Consumption ---- 200 liters/day Ground Water ---- 0 liters/day Built Up Area ---- 288 (in sq. meter) CETP Membership ---- Not Applicable Date of commissioning of project ---- 01.03.2010 Waste Water generation Domestic Effluent ---- 100 liters/day Trade Effluent ---- 0 liters/day ETP / STP ---- N/A Test Report(Water) within Limit ---- N/A Test Report(Air) within Limit ---- N/A NMR Sumitted ---- N/A
	Recommended for grant of consent to establish.  Subsequently, inspection be conducted.
	Issue consent to establish.  Subsequently, inspection be conducted.

	40
	35894  
	09-12-2010
	WRECKER JEANS & CASUALS
	179,F.I.E PATPARGANJ INDUSTRIAL AREA
	Patparganj Industrial Area
	Orange Establish
	Mfg. of Readymade Garments With Washing.
	03-02-2011 : Water Consumption ---- 7000 liters/day Ground Water ---- 7000 liters/day Built Up Area ---- 840 (in sq. meter) Cetp Membership ---- Not Applicable Date of commissioning of project ---- Waste Water generation Domestic Effluent ---- 1000 liters/day Trade Effluent ---- 5000 liters/day ETP / STP ---- No Test Report(Water) within Limit ---- Not available. Test Report(Air) within Limit ---- Not available. D.G.Set:62.5 KVA. NMR Sumitted ----No.
	Recommended for grant of consent to establish. 
	Issue consent to establish. 

	41
	35896  
	09-12-2010
	N.S. TIMBER TRDERS
	PLOT NO 3089,POCKET-J,DSIDC NARELA INDUSTRIAL AREA
	Narela Industrial Area
	Orange Establish
	MFG. OF PLASTIC PRODUCTS.
	09-02-2011 : CTE ---- CTE applied on 09.12.2010 with Id. no. 35896. Water Consumption ---- 1100 liters/day Ground Water ---- 100 liters/day Built Up Area ---- 120 (in sq. meter) CETP Membership ---- Not Applicable Date of commissioning of project ---- 01-01-2011. Waste Water generation Domestic Effluent ---- 50 liters/day Trade Effluent ---- 0 liters/day ETP / STP ---- N/A Test Report(Water) within Limit ---- N/A Test Report(Air) within Limit ---- N/A NMR Sumitted ---- N/A
	Recommended for grant of consent to establish with the condition to provide hood & suction arrangement followed by a duct raised well above the roof levels (at least 2.0 meter above roof level) to channelize the process emissions. 
	Issue consent to establish without use of plastic scrap with the condition to provide hood & suction arrangement followed by a duct raised well above the roof levels (at least 2.0 meter above roof level) to channelize the process emissions. 

	42
	35897  
	09-12-2010
	PRAVESH BEDI & SONS
	PLOT NO 826,SECTOR-E,DSIDC NARELA INDUSTRIAL AREA
	Narela Industrial Area
	Orange Establish
	MFG. PLASTIC PRODUCTS.
	09-02-2011 : CTE ---- CTE applied on 09.12.2010 with Id. No. 35897. Water Consumption ---- 120 liters/day Ground Water ---- 0 liters/day Built Up Area ---- 350 (in sq. meter) CETP Membership ---- Not Applicable Date of commissioning of project ---- 01.01.2011. Waste Water generation Domestic Effluent ---- 50 liters/day Trade Effluent ---- 0 liters/day ETP / STP ---- N/A Test Report(Water) within Limit ---- N/A Test Report(Air) within Limit ---- N/A NMR Sumitted ---- N/A
	Recommended for grant of consent to establish with the condition to provide hood & suction arrangement followed by a duct raised well above the roof levels (at least 2.0 meter above roof level) to channelize the process emissions. 
	Issue consent to establish without use of plastic scrap with the condition to provide hood & suction arrangement followed by a duct raised well above the roof levels (at least 2.0 meter above roof level) to channelize the process emissions. 

	43
	35899  
	09-12-2010
	NARENDRA METAL
	1/536-A/2, GALI NO 4 FRIENDS COLONY INDUSTRIAL AREA
	Friends Colony Industrial Area
	Orange Establish
	Mfg. of Pressure Cooker with buffing
	03-02-2011 : Water Consumption ---- 100 liters/day Ground Water ---- 0 liters/day Built Up Area ---- 100 (in sq. meter) Cetp Membership ---- Yes. Friends Colony Industrial Area CETP Society Date of commissioning of project ----Feb 2011. Waste Water generation Domestic Effluent ---- 50 liters/day Trade Effluent ---- 0 liters/day ETP / STP ---- N/A Test Report(Water) within Limit ---- N/A Test Report(Air) within Limit ---- N/A D.G.Set: Nil. NMR Sumitted ---- N/A
	Recommended for grant of consent to establish.  Subsequently, inspection be conducted.
	Issue consent to establish.  Subsequently, inspection be conducted.

	44
	35907  
	10-12-2010
	KEWEL INTERNATIONAL
	PLOT NO D-1663, DSIDC NARELA INDUSTRIAL AREA
	Narela Industrial Area
	Orange Establish
	MFG. OF PLASTIC DANA.
	09-02-2011 : CTE ---- CTE applied on 10.12.2010 with Id. no. 35907. Water Consumption ---- 200 liters/day Ground Water ---- 0 liters/day Built Up Area ---- 210 (in sq. meter) CETP Membership ---- Not Applicable Date of commissioning of project ---- 01.03.2011 Waste Water generation Domestic Effluent ---- 100 liters/day Trade Effluent ---- 0 liters/day ETP / STP ---- N/A Test Report(Water) within Limit ---- N/A Test Report(Air) within Limit ---- N/A NMR Sumitted ---- N/A
	Recommended for grant of consent to establish with the condition to provide hood & suction arrangement followed by a duct raised well above the roof levels (at least 2.0 meter above roof level) to channelize the process emissions. 
	Issue consent to establish without use of plastic scrap with the condition to provide hood & suction arrangement followed by a duct raised well above the roof levels (at least 2.0 meter above roof level) to channelize the process emissions. 

	45
	35908  
	10-12-2010
	MOHAN LAL
	PLOT NO B-2,DSIDC ENGINEERING COMPLEX, PHASE-I MANGOL PURI INDUSTRIAL AREA
	Mangolpuri Industrial Area
	Orange Establish
	MFG. OF PLASTIC DANA (RECYCLED) WITHOUT TRADE EFFLUENT AND WASHING.
	09-02-2011 : CTE ---- CTE applied on 10.12.2010 with Id. no. 35908. Water Consumption ---- 500 liters/day Ground Water ---- 0 liters/day Built Up Area ---- 84 (in sq. meter) CETP Membership ---- Not Applied Date of commissioning of project ---- 01.01.2011 Waste Water generation Domestic Effluent ---- 100 liters/day Trade Effluent ---- 0 liters/day ETP / STP ---- N/A Test Report(Water) within Limit ---- N/A Test Report(Air) within Limit ---- N/A NMR Sumitted ---- N/A
	Recommended for grant of consent to establish with the condition to provide the hood & suction arrangement followed by stack of atleast 11 meters and to achieve the concentration of Particulate Matter and HCL mist within the limit of 150 mg/m3 and 35 mg/m3 respectively.
	Issue consent to establish with the condition to provide the hood & suction arrangement followed by stack of atleast 11 meters and to achieve the concentration of Particulate Matter and HCL mist within the limit of 150 mg/m3 and 35 mg/m3 respectively.

	46
	35911  
	10-12-2010
	M.P. TRADERS
	PLOT NO 232,POCKET-M,SECTOR-1,DSIDC BAWANA INDUSTRIAL AREA
	Bawana Industrial Area
	Orange Establish
	Mfg. of Plastic Products (Moulded goods) W/o Trade Effluent.
	03-02-2011 : CTE ---- pending Water Consumption ---- 500 liters/day Ground Water ---- 500 liters/day Built Up Area ---- 60 (in sq. meter) Cetp Membership ---- Not Applicable Date of commissioning of project ---- Feb 2011 Waste Water generation Domestic Effluent ---- 200 liters/day Trade Effluent ---- 0 liters/day ETP / STP ----no Test Report(Water) within Limit ---- N/A Test Report(Air) within Limit ---- N/A NMR Sumitted ---- N/A
	Recommended for grant of consent to establish with the condition to provide hood & suction arrangement followed by a duct raised well above the roof levels (at least 2.0 meter above roof level) to channelize the process emissions. 
	Issue consent to establish without use of plastic scrap with the condition to provide hood & suction arrangement followed by a duct raised well above the roof levels (at least 2.0 meter above roof level) to channelize the process emissions. 

	47
	35914  
	10-12-2010
	SARAL PRODUCTS
	E-795,DSIDC NARELA INDUSTRIAL AREA
	Narela Industrial Area
	Orange Establish
	MFG. OF PVC FOOTWEAR.
	09-02-2011 : CTE ---- Applied on 10.2.2010 with Id. No. 35914. Water Consumption ---- 425 liters/day Ground Water ---- 0 liters/day Built Up Area ---- 210 (in sq. meter) CETP Membership ---- Not Applicable Date of commissioning of project ---- 01-01-2011 Waste Water generation Domestic Effluent ---- 60 liters/day Trade Effluent ---- 0 liters/day ETP / STP ---- N/A Test Report(Water) within Limit ---- N/A Test Report(Air) within Limit ---- N/A NMR Sumitted ---- N/A
	Recommended for grant of consent to establish with the condition to provide hood & suction arrangement followed by a duct raised well above the roof levels (at least 2.0 meter above roof level) to channelize the process emissions. 
	Issue consent to establish without use of plastic scrap with the condition to provide hood & suction arrangement followed by a duct raised well above the roof levels (at least 2.0 meter above roof level) to channelize the process emissions. 

	48
	35915  
	10-12-2010
	WALKY FOOTWEARS
	I-2134,IST FLOOR,DISDC NARELA INDUSTRIAL AREA
	Narela Industrial Area
	Orange Establish
	MFG. OF PVC FOOTWEAR AND EVA FOOTWEAR.
	09-02-2011 : CTE ---- CTE applied on 10.12.2010 with Id. No. 35915. Water Consumption ---- 125 liters/day Ground Water ---- 0 liters/day Built Up Area ---- 200.07 (in sq. meter) CETP Membership ---- Not Applicable Date of commissioning of project ---- 01-07-2010 Waste Water generation Domestic Effluent ---- 60 liters/day Trade Effluent ---- 0 liters/day ETP / STP ---- N/A Test Report(Water) within Limit ---- N/A Test Report(Air) within Limit ---- N/A NMR Sumitted ---- N/A
	Ask the unit (i) to install Emission Control System / channelization for the process emissions (ii) to submit an affidavit confirming the installation of ECS / Channelization and removal of printing activity, and Bank Guarantee of Rs. One Lakh each under Air Act and HWM Rules. If the unit submits the aforesaid documents, closure directions be revoked and consent to establish be issued.
	Ask the unit (i) to install Emission Control System / channelization for the process emissions (ii) to submit an affidavit confirming the installation of ECS / Channelization and removal of printing activity, and Bank Guarantee of Rs. One Lakh each under Air Act and HWM Rules. If the unit submits the aforesaid documents, closure directions be revoked and consent to establish be issued.

	49
	35922  
	13-12-2010
	TWO BROTHERS PVT. LTD.
	A-51/3, NARAINA INDUSTRIAL AREA PHASE - I
	Nangloi Industrial Area
	Orange Establish
	PVC FOOTWEAR AND BINDING OF STATIONARY
	08-02-2011 : CTE: Applied on 13.12.2010 vide ID no. 35922 Water Consumption ---- 100 liters/day Ground Water ---- 0 liters/day Built Up Area ---- 282 (in sq. meter) CETP Membership ---- Not Applicable Date of commissioning of project ---- Waste Water generation Domestic Effluent ---- 50 liters/day Trade Effluent ---- 0 liters/day ETP / STP ---- N/A Test Report(Water) within Limit ---- N/A Test Report(Air) within Limit ---- N/A NMR Sumitted ---- N/A ATR/Remarks Earlier CTO issued under Green category valid upto 13.06.2007 CTO_R issued valid upto 30.04.2006 under orange category. Applied for CTO_R on 04.01.2010 vide ID no. 32329
	Issue SCN for refusal of consent in view of concealment of D.G. Set.
	Issue SCN for refusal of consent in view of concealment of D.G. Set.

	50
	35931  
	14-12-2010
	PASUPATY SPRINGS PVT LTD
	PLOT NO 45,POCKET-A,SECTOR-2,DSIDC BAWANA INDUSTRIAL AREA
	Bawana Industrial Area
	Orange Establish
	Mfg. of Springs Items
	04-02-2011 : Water Consumption ---- 120 liters/day Ground Water ---- 0 liters/day Built Up Area ---- 150 (in sq. meter) Cetp Membership ---- Not Applicable Date of commissioning of project ----2009 SCN for refusal of consent issued on 12.11.2010 Waste Water generation Domestic Effluent ---- 100 liters/day Trade Effluent ---- 0 liters/day ETP / STP ---- No Test Report(Water) within Limit ---- N/A Test Report(Air) within Limit ---- N/A NMR Sumitted ---- N/A
	Ask the unit to submit the total Bank Guarantee of  Rs. 50,000 under Air Act / Water Act / HWM Ruls valid for one year. If the unit submits, consent to establish be issued. 
	Ask the unit to submit the total Bank Guarantee of  Rs. 50,000 under Air Act valid for one year. If the unit submits, consent to establish be issued. 

	51
	35932  
	14-12-2010
	GURU NANAK MFG CO.
	PLOT NO.-275, POCKET-C, SECTOR-2, DSIDC BAWANA INDUSTRIAL AREA
	Bawana Industrial Area
	Orange Establish
	Mfg. of Small Machine and Machine Tools (Corrugated Boxes Making Machine etc)
	04-02-2011 : Water Consumption ---- 300 liters/day Ground Water ---- 0 liters/day Built Up Area ---- 120 (in sq. meter) Cetp Membership ---- Not Applicable Date of commissioning of project ---- 15.2.2011 Waste Water generation Domestic Effluent ---- 250 liters/day Trade Effluent ---- 0 liters/day ETP / STP ---- No Test Report(Water) within Limit ---- N/A Test Report(Air) within Limit ---- N/A NMR Sumitted ---- N/A
	Recommended for grant of consent to establish. 
	Issue consent to establish. 

	52
	35933  
	14-12-2010
	SUMER CHNAD & SONS
	PLOT NO2,BLOCK-G,SECTOR-4,DSIDC BAWANA INDUSTRIAL AREA
	Bawana Industrial Area
	Orange Establish
	Mfg. All kinds of Footwear including leather footwear.
	04-02-2011 : Water Consumption ---- 300 liters/day Ground Water ---- 0 liters/day Built Up Area ---- 150 (in sq. meter) Cetp Membership ---- Not Applicable Date of commissioning of project ---- 15.2.2011 Waste Water generation Domestic Effluent ---- 250 liters/day Trade Effluent ---- 0 liters/day ETP / STP ---- No Test Report(Water) within Limit ---- N/A Test Report(Air) within Limit ---- N/A NMR Sumitted ---- N/A
	Recommended for grant of consent to establish with the condition to provide hood & suction arrangement followed by a duct raised well above the roof levels (at least 2.0 meter above roof level) to channelize the process emissions. 
	Issue consent to establish without use of plastic scrap with the condition to provide hood & suction arrangement followed by a duct raised well above the roof levels (at least 2.0 meter above roof level) to channelize the process emissions. 

	53
	35934  
	14-12-2010
	HELIX LATEX INDUSTRIES
	B-28,G.T. KARNAL ROAD INDUSTRIAL AREA
	G.T. Karnal Road Industrial Area
	Orange Establish
	MFG. OF SPORTS GOODS (FOOTBALL BLADDER ETC), HANDS GLOVES, BALLOONS ETC.
	09-02-2011 : CTE ---- CTE applied on 14.12.2010 with Id. No. 35934. Water Consumption ---- 500 liters/day Ground Water ---- 500 liters/day Built Up Area ---- 1900 (in sq. meter) CETP Membership ---- Not Applied. Date of commissioning of project ---- 01.01.1980 Waste Water generation Domestic Effluent ---- 400 liters/day Trade Effluent ---- 0 liters/day ETP / STP ---- N/A Test Report(Water) within Limit ---- N/A Test Report(Air) within Limit ---- N/A NMR Sumitted ---- N/A
	Recommended for grant of consent to establish. Subsequently, inspection be conducted specifically for trade effluent.
	Issue consent to establish. Subsequently, inspection be conducted specifically for trade effluent.

	54
	35937  
	14-12-2010
	BHARAT ALUMINIUM
	B-2641,DSIDC NARELA INDUSTRIAL AREA
	Narela Industrial Area
	Orange Establish
	MFG. OF PLASTIC PRODUCTS.
	09-02-2011 : CTE ---- CTE applied on 14.12.2010 with Id. No. 35937. Water Consumption ---- 200 liters/day Ground Water ---- 0 liters/day Built Up Area ---- 250 (in sq. meter) CETP Membership ---- Not Applicable Date of commissioning of project ---- 28-05-2001 Waste Water generation Domestic Effluent ---- 150 liters/day Trade Effluent ---- 0 liters/day ETP / STP ---- N/A Test Report(Water) within Limit ---- N/A Test Report(Air) within Limit ---- N/A NMR Sumitted ---- N/A
	Recommended for grant of consent to establish with the condition to provide hood & suction arrangement followed by a duct raised well above the roof levels (at least 2.0 meter above roof level) to channelize the process emissions. Subsequently, inspection be conducted to check the use of plastic scrap.
	Issue consent to establish without use of plastic scrap with the condition to provide hood & suction arrangement followed by a duct raised well above the roof levels (at least 2.0 meter above roof level) to channelize the process emissions. 

	55
	35938  
	14-12-2010
	SAHRAWAT FLOUR MILL
	PLOT NO G-46, SECTOR-2, DISDC BAWANA INDUSTRIAL AREA
	Bawana Industrial Area
	Orange Establish
	Flour Mill.
	04-02-2011 : Water Consumption ---- 200 liters/day Ground Water ---- 200 liters/day Built Up Area ---- 90 (in sq. meter) Cetp Membership ---- Not Applicable Date of commissioning of project ---- Feb 2011 Waste Water generation Domestic Effluent ---- 100 liters/day Trade Effluent ---- 0 liters/day ETP / STP ---- No Test Report(Water) within Limit ---- N/A Test Report(Air) within Limit ---- N/A NMR Sumitted ---- N/A
	Recommended for grant of consent to establish.  Subsequently, inspection be conducted.
	Issue consent to establish.  Subsequently, inspection be conducted.

	56
	35939  
	14-12-2010
	MANOJ PLASTIC
	PLOT NO 286,SECTOR-3,POCKET-B,DSIDC BAWANA INDUSTRIAL AREA
	Bawana Industrial Area
	Orange Establish
	Mfg. of Plastic Products.
	03-02-2011 : CTE ---- pending Water Consumption ---- 1000 liters/day Ground Water ---- 0 liters/day Built Up Area ---- 210 (in sq. meter) Cetp Membership ---- Not Applicable Date of commissioning of project ---- 25.12.2010 Waste Water generation Domestic Effluent ---- 1000 liters/day Trade Effluent ---- 0 liters/day ETP / STP ---- no Test Report(Water) within Limit ---- N/A Test Report(Air) within Limit ---- N/A NMR Sumitted ---- N/A
	Recommended for grant of consent to establish with the condition to provide hood & suction arrangement followed by a duct raised well above the roof levels (at least 2.0 meter above roof level) to channelize the process emissions. 
	Issue consent to establish without use of plastic scrap with the condition to provide hood & suction arrangement followed by a duct raised well above the roof levels (at least 2.0 meter above roof level) to channelize the process emissions. 

	57
	35940  
	14-12-2010
	SONELITE INDUSTRIAL CORPORATION
	PLOT NO 216,POCKET-K,SECTOR-5,DSIDC BAWANA INDUSTRIAL AREA
	Bawana Industrial Area
	Orange Establish
	copper wire Drawing and Tinning Final product is fuse wire.
	03-02-2011 : CTE ---- yes Water Consumption ---- 70 liters/day Ground Water ---- 0 liters/day Built Up Area ---- 90 (in sq. meter) Cetp Membership ---- Not Applicable Date of commissioning of project ----Jan 2011 Waste Water generation Domestic Effluent ---- 30 liters/day Trade Effluent ---- 0 liters/day ETP / STP --no Test Report(Water) within Limit ---- N/A Test Report(Air) within Limit ---- N/A NMR Sumitted ---- N/A
	Recommended for grant of consent to establish with the condition to provide ECS / channelization over tinning process.
	Issue consent to establish with the condition to provide ECS / channelization over tinning process.

	58
	35945  
	14-12-2010
	LAXMI PLASTIC
	PLOT NO 182,POCKET-F,SECTOR-3,DSIDC BAWANA INDUSTRIAL AREA
	Bawana Industrial Area
	Orange Establish
	Manufacturing of Plastic Products.
	07-02-2011 : Water Consumption ---- 155 liters/day Ground Water ---- 0 liters/day Built Up Area ---- 150 (in sq. meter) Cetp Membership ---- Not Applicable Date of commissioning of project ---- Jan 2011 Waste Water generation Domestic Effluent ---- 80 liters/day Trade Effluent ---- 0 liters/day ETP / STP ---- No Test Report(Water) within Limit ---- N/A Test Report(Air) within Limit ---- N/A NMR Sumitted ---- N/A
	Recommended for grant of consent to establish with the condition to provide hood & suction arrangement followed by a duct raised well above the roof levels (at least 2.0 meter above roof level) to channelize the process emissions. 
	Issue consent to establish without use of plastic scrap with the condition to provide hood & suction arrangement followed by a duct raised well above the roof levels (at least 2.0 meter above roof level) to channelize the process emissions. 

	59
	35946  
	14-12-2010
	SRI SAI POLYTECH (INDIA)
	E-808,GROUND FLOOR,DSIDC NAREALA INDUSTRIAL AREA
	Narela Industrial Area
	Orange Establish
	MFG. OF PVC COMPOUND.
	09-02-2011 : CTE ---- CTE applied on 14.12.2010 with Id. No. 35946. Water Consumption ---- 115 liters/day Ground Water ---- 0 liters/day Built Up Area ---- 210 (in sq. meter) CETP Membership ---- Not Applicable Date of commissioning of project ---- 01-01-2011 Waste Water generation Domestic Effluent ---- 75 liters/day Trade Effluent ---- 0 liters/day ETP / STP ---- N/A Test Report(Water) within Limit ---- N/A Test Report(Air) within Limit ---- N/A NMR Sumitted ---- N/A
	Recommended for grant of consent to establish with the condition to provide hood & suction arrangement followed by a duct raised well above the roof levels (at least 2.0 meter above roof level) to channelize the process emissions. 
	Issue consent to establish for mfg. of PVC Granules without use of plastic scrap with the condition to provide hood & suction arrangement followed by a duct raised well above the roof levels (at least 2.0 meter above roof level) to channelize the process emissions. 

	60
	35951  
	15-12-2010
	ORIENT FASHIONS EXPORT INDIA (P) LTD
	E-45/14, PH-II, OKHLA INDUSTRIAL AREA
	Okhla Industrial Area
	Orange Establish
	Mfg. of Readymade garments (W/o Washing) with Embroidery and sampling.
	28-12-2010 : EARLIER CMC DECISION 67th(GREEN) Ask the unit to apply for consent to establish under Orange category in view of the existence of the electric boiler and CMC(Orange) decision in this regard. 69th(GREEN) Consent be made infrctuous as unit has applied for consent under Orange category. REMARKS Water Consumption : 500 Lt/d Waste Water generation : (a) Domestic effluent: 450 Lt/d (b) Trade effluent: Nil Date of Commissioning: Jan 2010 ETP : N/A D.G.Set : 125 KVA and 250 KVA CTO(Green) issued valid upto 12.06.2008 with CNO 4442. CTE(Green) applied on 08.04.2010 with ID 33458. CTO(Green) applied on 08.04.2010 with ID 33459. CTO(Orange) applied on 15.12.2010 with ID 35952.
	Recommended for grant of consent to establish. 
	Issue consent to establish. 

	61
	35957  
	15-12-2010
	BEDI MOTORS
	KEMAL ATTATURK MARG (NEAR RACE COURSE) NEW DELHI
	NEW DELHI
	Orange Establish
	FILLING STATION CUM SERVICE STATION OF CARS
	09-02-2011 : CTE ---- CTE applied in 15.12.2010 with Id. No. 35957. Water Consumption ---- 4000 liters/day Ground Water ---- 0 liters/day Built Up Area ---- 297 (in sq. meter) CETP Membership ---- N/A Date of commissioning of project ---- 01.12.2010 Waste Water generation Domestic Effluent ---- 800 liters/day Trade Effluent ---- 3000 liters/day ETP / STP ---- N/A Test Report(Water) within Limit ---- N/A Test Report(Air) within Limit ---- N/A NMR Sumitted ---- N/A
	Implement the CMC(Orange) decision dated 21.01.2011
	Case be put up after the implementation of CMC(Orange) decision dated 21.01.2011.

	62
	35969  
	16-12-2010
	SHASHI BERIWAL & CO. PVT. LTD.
	PLOT NO 1464, DSIDC NARELA INDUSTRIAL AREA
	Narela Industrial Area
	Orange Establish
	MFG. OF ELECTRICAL GOODS (WIRE AND CABLE).
	09-02-2011 : CTE ---- CTE applied on 16.12.2010 with Id. no. 35969. Water Consumption ---- 205 liters/day Ground Water ---- 0 liters/day Built Up Area ---- 210 (in sq. meter) CETP Membership ---- Not Applicable Date of commissioning of project ---- 01-12-2010 Waste Water generation Domestic Effluent ---- 75 liters/day Trade Effluent ---- 0 liters/day ETP / STP ---- N/A Test Report(Water) within Limit ---- N/A Test Report(Air) within Limit ---- N/A NMR Sumitted ---- N/A
	Recommended for grant of consent to establish with the stipulations of MPD-2021 regarding number of workers and plot area. 
	Issue consent to establish with the stipulations of MPD-2021 regarding number of workers and plot area. 

	63
	35970  
	16-12-2010
	ASHOKA PLASTIC INDUSTRIES
	A-273,DSIDC NARELA INDUSTRIAL AREA
	Narela Industrial Area
	Orange Establish
	MFG. OF PVC FOOTWEAR.
	09-02-2011 : CTE ---- CTE applied on 16.12.2010 with Id. No. 35970. Water Consumption ---- 50 liters/day Ground Water ---- 0 liters/day Built Up Area ---- 210 (in sq. meter) CETP Membership ---- Not Applicable Date of commissioning of project ---- 01-05-2010 Waste Water generation Domestic Effluent ---- 20 liters/day Trade Effluent ---- 0 liters/day ETP / STP ---- N/A Test Report(Water) within Limit ---- N/A Test Report(Air) within Limit ---- N/A NMR Sumitted ---- N/A
	Unit has already been asked Bank Guarantee of Rs. 50,000 under Air Act valid for one year. If unit submits the Bank Guarantee, consent to establish with the condition to provide hood & suction arrangement followed by a duct raised well above the roof levels (at least 2.0 meter above roof level) to channelize the process emissions be issued. 
	Unit has already been asked Bank Guarantee of Rs. 50,000 under Air Act valid for one year. If unit submits the Bank Guarantee, consent to establish with the condition to provide hood & suction arrangement followed by a duct raised well above the roof levels (at least 2.0 meter above roof level) to channelize the process emissions be issued. 

	64
	35972  
	16-12-2010
	UNIQUE POWER SOLUTION
	C-12 SMA INDUSTRIAL AREA
	S.M.A Industrial Area
	Orange Establish
	ASSEMBLING OF ELECTRICAL GOODS.
	09-02-2011 : CTE ---- CTE applied on 16.12.2010 with Id. no. 35972. Water Consumption ---- 200 liters/day Ground Water ---- 0 liters/day Built Up Area ---- 2712 (in sq. meter) CETP Membership ---- Not Applied. Date of commissioning of project ---- 01.10.2010. Waste Water generation Domestic Effluent ---- 150 liters/day Trade Effluent ---- 0 liters/day ETP / STP ---- N/A Test Report(Water) within Limit ---- N/A Test Report(Air) within Limit ---- N/A NMR Sumitted ---- N/A
	Recommended for grant of consent to establish for mentioning the specific activity of D.G. Set assembling.
	Inspection be conducted in view of gazette notification of D.G. Set.

	65
	35977  
	20-12-2010
	VIKAS POLYMERS
	27,DLF MOTI NGAR INDUSTRIAL AREA
	Moti Nagar DLF Industrial Area
	Orange Establish
	MFG OF RUBBER GOODS
	07-02-2011 : CTE ---- Applied on 20.12.2010 vide ID no 35977 Water Consumption ---- 200 liters/day Ground Water ---- 0 liters/day Built Up Area ---- 150 (in sq. meter) CETP Membership ---- Not Applicable Date of commissioning of project ---- Jan,2011. Waste Water generation Domestic Effluent ---- 160 liters/day Trade Effluent ---- 0 liters/day ETP / STP ---- N/A Test Report(Water) within Limit ---- N/A Test Report(Air) within Limit ---- N/A NMR Sumitted ---- N/A
	Ask the unit to submit fresh project report with proper details w.r.t. source of heating / steam generation and detail of proposed pollution. 
	Ask the unit to submit fresh project report with proper details w.r.t. source of heating / steam generation and detail of proposed pollution. 

	66
	35983  
	20-12-2010
	SHAMA INTERNATIONAL PVT. LTD
	C-27, PHASE-I, OKHLA INDUSTRIAL AREA
	Okhla Industrial Area
	Orange Establish
	MANUFACTURING OF READYMADE GARMENTS (WITHOUT WASHING).
	28-12-2010 : RAMARKS Water Consumption : 3000 Lt/d Waste Water generation : (a) Domestic effluent: 1000 Lt/d (b) Trade effluent: 2000 Lt/d Date of Commissioning: 10.09.2010 ETP : Shall be constructed D.G.Set : 125 KVA and NMR submitted dated 15.12.2009. CTE(Green) issued on 19.05.2009 with CNO 20450
	Inspection be conducted in view of CTE already granted under Green category. Issue letter to the unit for removal of discrepancies in consent application.
	Inspection be conducted in view of CTE already granted under Green category. Issue letter to the unit for removal of discrepancies in consent application.

	67
	35984  
	20-12-2010
	MONIKA FURNITURE
	G-165,SEC.-2 DSIDC BAWANA INDUSTRIAL AREA
	Bawana Industrial Area
	Orange Establish
	Mfg. Steel and Wooden Furniture.
	03-02-2011 : CTE ---- pending Water Consumption ---- 500 liters/day Ground Water ---- 0 liters/day Built Up Area ---- 100 (in sq. meter) Cetp Membership ---- Not Applicable Date of commissioning of project ---- 08-09-2010 Waste Water generation Domestic Effluent ---- 300 liters/day Trade Effluent ---- 0 liters/day ETP / STP ---- No Test Report(Water) within Limit ---- N/A Test Report(Air) within Limit ---- N/A NMR Sumitted ---- N/A
	Recommended for grant of consent to establish. 
	Issue consent to establish. 

	68
	35986  
	20-12-2010
	AIRPORTS AUTHORITY OF INDIA
	SAFDARJUNG AIRPORT
	NEW DELHI
	Orange Establish
	OPERATIONAL BUILDING AT SAFDARJUNG AIRPORT NEW DELHI.
	09-02-2011 : CTE ---- CTE applied on 20.12.2010 with Id. No. 35986. Water Consumption ---- 295000 liters/day Ground Water ---- 70000 liters/day Built Up Area ---- 37756.14 (in sq. meter) CETP Membership ---- N/A Date of commissioning of project ---- 01-01-2011 Waste Water generation Domestic Effluent ---- 90000 liters/day Trade Effluent ---- 60000 liters/day ETP / STP ---- N/A Test Report(Water) within Limit ---- N/A Test Report(Air) within Limit ---- N/A NMR Sumitted ---- N/A
	Case be put up in forthcoming CMC for asking the environmental clearance and not to start the construction work without obtaining environmental clearance and consent to establish. 
	Case be put up in next CMC.

	69
	35995  
	21-12-2010
	SUNRISE ENTERPRISES
	18,DLF MOTI NAGAR INDUTRIAL AREA
	Moti Nagar DLF Industrial Area
	Orange Establish
	MFG OF PLASTIC PRODUSTS
	07-02-2011 : CTE ---- Applied on 21.12.2010 vide ID on 35995. Water Consumption ---- 150 liters/day Ground Water ---- 0 liters/day Built Up Area ---- 70 (in sq. meter) CETP Membership ---- Not Applicable Date of commissioning of project ---- Jan,2011. Waste Water generation Domestic Effluent ---- 100 liters/day Trade Effluent ---- 0 liters/day ETP / STP ---- N/A Test Report(Water) within Limit ---- N/A Test Report(Air) within Limit ---- N/A NMR Sumitted ---- N/A
	Ask the unit to submit fresh project report with proper detail of process involved.
	Ask the unit to submit fresh project report with proper detail of process involved.

	70
	35996  
	21-12-2010
	COSWEL PRODUCTS
	PLOT NO.B-11, G.T. KARNAL ROAD INDUSTRIAL AREA
	G.T. Karnal Road Industrial Area
	Orange Establish
	MFG. AND PACKING OF COSMETICS.
	09-02-2011 : CTE ---- CTE issued on 06.11.2006 and valid upto 05.11.2007 Vide C.No. 17373. Water Consumption ---- 50 liters/day Ground Water ---- 0 liters/day Built Up Area ---- 100 (in sq. meter) CETP Membership ---- Not Applied. Date of commissioning of project ---- 01.12.2009. Waste Water generation Domestic Effluent ---- 30 liters/day Trade Effluent ---- 0 liters/day ETP / STP ---- N/A Test Report(Water) within Limit ---- N/A Test Report(Air) within Limit ---- N/A NMR Sumitted ---- N/A
	Matter may be discussed before CMC regarding inclusion of the cost of land owned by mother of proprietor  for the purpose of consent fee.
	Case be deferred till next CMC. A committee comprising of Sh. B. Kumar, SEE, Sh. M.Dwarkanath, SSO & Sh. P.S. Pankaj, AEE, Enquiry Counter and Sr. Accounts Officer, DPCC to give report within a week on the issue of inclusion of the cost of land & building in the capital investment for the purpose of consent fee. 

	71
	36000  
	21-12-2010
	ASHISH PACKERS
	PLOT NO 93,POCKET-I,SECTOR.DSIDC BAWANA INDUSTRIAL AREA
	Bawana Industrial Area
	Orange Establish
	Mfg. Corrugated Boxes with Printed.
	03-02-2011 : CTE ---- pending Water Consumption ---- 100 liters/day Ground Water ---- 0 liters/day Built Up Area ---- 80 (in sq. meter) Cetp Membership ---- Not Applicable Date of commissioning of project ---- jan 2011 Waste Water generation Domestic Effluent ---- 0 liters/day Trade Effluent ---- 80 liters/day ETP / STP ---- No Test Report(Water) within Limit ---- N/A Test Report(Air) within Limit ---- N/A NMR Sumitted ---- N/A
	Recommended for grant of consent to establish. 
	Issue consent to establish. 

	72
	36004  
	21-12-2010
	SINGH WIRE PRODUCTS
	PLOT NO 65,POCKET-M,SECTOR-1,DSIDC BAWANA INDUSTRIAL AREA
	Bawana Industrial Area
	Orange Establish
	Wire Drawing.
	04-02-2011 : Water Consumption ---- 100 liters/day Ground Water ---- 0 liters/day Built Up Area ---- 200 (in sq. meter) Cetp Membership ---- Not Applicable Date of commissioning of project ---- 01-01-2009 Waste Water generation Domestic Effluent ---- 50 liters/day Trade Effluent ---- 0 liters/day ETP / STP ---- No Test Report(Water) within Limit ---- N/A Test Report(Air) within Limit ---- N/A NMR Sumitted ---- N/A
	Recommended for grant of consent to establish.  Subsequently, inspection be conducted.
	Issue consent to establish.  Subsequently, inspection be conducted.

	73
	36006  
	21-12-2010
	BHARAT THREAD BALL FACTORY
	PLOT NO 155,POCKETR-5SECTOR-5,DSIDC BAWANA INDUSTRIAL AREA
	Bawana Industrial Area
	Orange Establish
	Mfg. of Thread balls and cotton fillings.
	04-02-2011 : Water Consumption ---- 100 liters/day Ground Water ---- 0 liters/day Built Up Area ---- 100 (in sq. meter) Cetp Membership ---- Not Applicable Date of commissioning of project ---- Waste Water generation Domestic Effluent ---- 50 liters/day Trade Effluent ---- 0 liters/day ETP / STP ---- No Test Report(Water) within Limit ---- N/A Test Report(Air) within Limit ---- N/A NMR Sumitted ---- N/A
	Recommended for grant of consent to establish. 
	Issue consent to establish. 

	74
	36008  
	21-12-2010
	BRIJ SONS PVT.LTD.
	PLOT NO H-1175,DSIDC NARELA INDUSTRIAL ARAE
	Narela Industrial Area
	Orange Establish
	DALL MILL.
	09-02-2011 : CTE ---- CTE applied on 21.12.2010 with Id. no. 36008. Water Consumption ---- 300 liters/day Ground Water ---- 0 liters/day Built Up Area ---- 350 (in sq. meter) CETP Membership ---- Not Applicable Date of commissioning of project ---- 01.01.2011 Waste Water generation Domestic Effluent ---- 200 liters/day Trade Effluent ---- 0 liters/day ETP / STP ---- N/A Test Report(Water) within Limit ---- N/A Test Report(Air) within Limit ---- N/A NMR Sumitted ---- N/A
	Recommended for grant of consent to establish.  Subsequently, inspection be conducted.
	Issue consent to establish.  Subsequently, inspection be conducted.

	75
	36011  
	21-12-2010
	TIRUPATI FOOD INDUSTRIES
	B-17, LAWRENCE ROAD INDUSTRIAL AREA
	Lawrence Road Industrial Area
	Orange Establish
	DALL MILL.
	09-02-2011 : CTE ---- CTE applied on 21.12.2010 with Id. No. 36011. Water Consumption ---- 800 liters/day Ground Water ---- 0 liters/day Built Up Area ---- 996 (in sq. meter) CETP Membership ---- Keshav Puram Industrial Area CETP Society Date of commissioning of project ---- 01.01.2011 Waste Water generation Domestic Effluent ---- 450 liters/day Trade Effluent ---- 0 liters/day ETP / STP ---- N/A Test Report(Water) within Limit ---- N/A Test Report(Air) within Limit ---- N/A NMR Sumitted ---- N/A
	Recommended for grant of consent to establish.  Subsequently, inspection be conducted.
	Issue consent to establish.  Subsequently, inspection be conducted.

	76
	36016  
	21-12-2010
	KAMAL STEEL FURNITURE INDUSTRIES
	B-19/2, WAZIRPUR INDUSTRIAL AREA
	Wazirpur Industrial Area
	Orange Establish
	MFG. OF WOODEN FURNITURE WITH PAINTING.
	09-02-2011 : CTE ---- CTE applied on 21.12.2010 with Id. No. 36016. Water Consumption ---- 200 liters/day Ground Water ---- 0 liters/day Built Up Area ---- 167 (in sq. meter) CETP Membership ---- Wazirpur Industrial Pollution Control Co. / Membership No ---- 7535 Date of commissioning of project ---- 01.01.1980 Waste Water generation Domestic Effluent ---- 150 liters/day Trade Effluent ---- 0 liters/day ETP / STP ---- N/A Test Report(Water) within Limit ---- N/A Test Report(Air) within Limit ---- N/A NMR Sumitted ---- N/A
	Confirm closure directions u/s 5 of EPA.
	Ask the unit to comply with the provisions of Hazardous Wastes (Management, Handling and Transboundary Movement) Rules, 2008 within 15 days, failing which closure directions will be confirmed.

	77
	36018  
	21-12-2010
	HIRA ENTERPRISES
	B-19/2, WAZIRPUR INDUSTRIAL AREA
	Wazirpur Industrial Area
	Orange Establish
	MFG. OF FABRICATION OF STEEL AND WOODEN FURNITURE WITH PAINTING.
	09-02-2011 : CTE ---- CTE applied on 21.12.2010 with Id. no. 36018. Water Consumption ---- 200 liters/day Ground Water ---- 0 liters/day Built Up Area ---- 200 (in sq. meter) CETP Membership ---- Wazirpur Industrial Pollution Control Co. / Membership No ---- 8261 Date of commissioning of project ---- 01.01.1980 Waste Water generation Domestic Effluent ---- 150 liters/day Trade Effluent ---- 0 liters/day ETP / STP ---- N/A Test Report(Water) within Limit ---- N/A Test Report(Air) within Limit ---- N/A NMR Sumitted ---- N/A
	Confirm closure directions u/s 5 of EPA.
	Ask the unit to comply with the provisions of Hazardous Wastes (Management, Handling and Transboundary Movement) Rules, 2008 within 15 days, failing which closure directions will be confirmed.

	78
	36025  
	21-12-2010
	RAINBOW VSK WIRES (I) PVT.LTD.
	P-13.SECTOR-5,DSIDC BAWANA INDUSTRIAL AREA
	Bawana Industrial Area
	Orange Establish
	Mfg. of Copper Rods.
	04-02-2011 : Water Consumption ---- 200 liters/day Ground Water ---- 0 liters/day Built Up Area ---- 200 (in sq. meter) Cetp Membership ---- Not Applicable Date of commissioning of project ---- 1.2.2011 Waste Water generation Domestic Effluent ---- 150 liters/day Trade Effluent ---- 0 liters/day ETP / STP ---- No Test Report(Water) within Limit ---- N/A Test Report(Air) within Limit ---- N/A NMR Sumitted ---- N/A
	Inspection be conducted.
	Inspection be conducted.

	79
	36026  
	21-12-2010
	PARAS CONTAINERS
	E-12,SECTOR-3,DSIDC BAWANA INDUSTRIAL AREA
	Bawana Industrial Area
	Orange Establish
	Mfg. of Plastic Products (By Injection Moulding).
	04-02-2011 : Water Consumption ---- 200 liters/day Ground Water ---- 0 liters/day Built Up Area ---- 200 (in sq. meter) Cetp Membership ---- Not Applicable Date of commissioning of project ----1.2.2011 Waste Water generation Domestic Effluent ---- 150 liters/day Trade Effluent ---- 0 liters/day ETP / STP ---- No Test Report(Water) within Limit ---- N/A Test Report(Air) within Limit ---- N/A NMR Sumitted ---- N/A
	Recommended for grant of consent to establish with the condition to provide hood & suction arrangement followed by a duct raised well above the roof levels (at least 2.0 meter above roof level) to channelize the process emissions. 
	Issue consent to establish without use of plastic scrap with the condition to provide hood & suction arrangement followed by a duct raised well above the roof levels (at least 2.0 meter above roof level) to channelize the process emissions. 

	80
	36027  
	21-12-2010
	MANJUL LAMINATES PVT. LTD.
	C-24, DSIDC PATPARGANJ INDUSTRIAL AREA
	Patparganj Industrial Area
	Orange Establish
	Mfg. Auto Parts Accessories
	03-02-2011 : CTE ---- Applied on 11.08.2010. Pending. Water Consumption ---- 200 liters/day Ground Water ---- 0 liters/day Built Up Area ---- 100 (in sq. meter) Cetp Membership ---- Not Applicable Date of commissioning of project ----Sept 2010. Waste Water generation Domestic Effluent ---- 150 liters/day Trade Effluent ---- 0 liters/day ETP / STP ---- N/A Test Report(Water) within Limit ---- N/A Test Report(Air) within Limit ---- N/A NMR Sumitted ---- N/A .
	Recommended for grant of consent to establish. 
	Issue consent to establish. 

	81
	36028  
	22-12-2010
	PRAGYA PLASTIC
	PLOT NO 168, POCKET-I,SECTOR-1,DSIDC BAWANA INDUSTRIAL AREA
	Bawana Industrial Area
	Orange Establish
	Mfg. of Plastic Products and Plastic Dana.
	04-02-2011 : Water Consumption ---- 300 liters/day Ground Water ---- 0 liters/day Built Up Area ---- 150 (in sq. meter) Cetp Membership ---- Not Applicable Date of commissioning of project ---- jan 2011 Waste Water generation Domestic Effluent ---- 100 liters/day Trade Effluent ---- 0 liters/day ETP / STP ---- No Test Report(Water) within Limit ---- N/A Test Report(Air) within Limit ---- N/A NMR Sumitted ---- N/A
	Recommended for grant of consent to establish with the condition to provide the hood & suction arrangement followed by stack of atleast 11 meters and to achieve the concentration of Particulate Matter and HCL mist within the limit of 150 mg/m3 and 35 mg/m3 respectively.
	Issue consent to establish with the condition to provide the hood & suction arrangement followed by stack of atleast 11 meters and to achieve the concentration of Particulate Matter and HCL mist within the limit of 150 mg/m3 and 35 mg/m3 respectively.

	82
	36043  
	23-12-2010
	GERA PAINT INDUSTRIES
	PLOT NO 8,POCKET-H,SECTOR-1,DSIDC BAWANA INDUSTRIAL AREA
	Bawana Industrial Area
	Orange Establish
	Mfg. of Synthetic Enamel Paint.
	04-02-2011 : Water Consumption ---- 300 liters/day Ground Water ---- 0 liters/day Built Up Area ---- 250 (in sq. meter) Cetp Membership ---- Not Applicable Date of commissioning of project ----Jan 2011 Waste Water generation Domestic Effluent ---- 100 liters/day Trade Effluent ---- 0 liters/day ETP / STP ---- No Test Report(Water) within Limit ---- N/A Test Report(Air) within Limit ---- N/A NMR Sumitted ---- N/A
	Issue SCN for refusal of consent in view of use of alkid resin.
	Issue SCN for refusal of consent in view of use of alkid resin.

	83
	36044  
	23-12-2010
	CHAWLA PACKAGING PVT. LTD.
	199, FIE, PATPARGANJ INDUSTRIAL AREA
	Patparganj Industrial Area
	Orange Establish
	Flexible Printed and Laminated Film.
	03-02-2011 : Water Consumption ---- 200 liters/day Ground Water ---- 0 liters/day Built Up Area ---- 300 (in sq. meter) Cetp Membership ---- Not Applicable Date of commissioning of project ---- 1998(Existing) Waste Water generation Domestic Effluent ---- 100 liters/day Trade Effluent ---- 0 liters/day ETP / STP ---- N/A Test Report(Water) within Limit ---- N/A Test Report(Air) within Limit ---- N/A D.G.Set:2 each (160 KVA). NMR Sumitted ---- No.
	Recommended for grant of consent to establish. 
	Inspection be conducted in view of newly notified Plastic Rules. 

	84
	36045  
	23-12-2010
	CHAWLA PACKAGING PVT LTD
	200, FIE PATPARGANJ INDUSTRIAL AREA
	Patparganj Industrial Area
	Orange Establish
	Flexible Printed and laminated film
	03-02-2011 : Water Consumption ---- 200 liters/day Ground Water ---- 0 liters/day Built Up Area ---- 300 (in sq. meter) Cetp Membership ---- Not Applicable Date of commissioning of project ----1998(Existing) Waste Water generation Domestic Effluent ---- 100 liters/day Trade Effluent ---- 0 liters/day ETP / STP ---- N/A. Test Report(Water) within Limit ---- N/A Test Report(Air) within Limit ---- N/A NMR Sumitted ---- N/A
	Recommended for grant of consent to establish. 
	Inspection be conducted in view of newly notified Plastic Rules. 

	85
	36050  
	23-12-2010
	NATIONAL ENTERPRISES
	F-7, PHASE-II, MAYAPURI INDUSTRIAL AREA
	Mayapuri Industrial Area
	Orange Establish
	JOB WORK OF ELECTROPLATING AND BUFFING
	10-02-2011 : CTE : Applied on 23.12.2010 vide ID no. 36050 Water Consumption ---- 800 liters/day Ground Water ---- 0 liters/day Built Up Area ---- 35 (in sq. meter) CETP Membership ---- Not Applicable Date of commissioning of project ---- Waste Water generation Domestic Effluent ---- 150 liters/day Trade Effluent ---- 500 liters/day ETP / STP ---- N/A Test Report(Water) within Limit ---- N/A Test Report(Air) within Limit ---- N/A NMR Sumitted ---- N/A Inspection was conducted by the officials of DPCC on 24.11.2010 as the complaint received against the M/s Chanchal Enterprises, F-7, Ph-II, Mayapuri Ind. Area, during the inspection following were observed:(1) No ECS found installed for the buffing activity. buffing of utensils was carried out. (2) one DG Set of 5 KVA found insstalled without acoustic enclosure & improper stack height. (3) at first floor of the premises 2 nos. of caustic/ acid tank were found installed for washing of buffed pieces. (4) fumes generated from the caustic/ acid tank were not found channelized. (5) No ETP installed at Site. Accordingly SCN u/s 31 (A) of Air Act & u/s 33 (A) of the Water Act was issued to the unit on 07.12.2010. however, unit submitted its reply on 24.12.2010 along with the application of CTE and stating that (1) ECS has been installed and properly channelized through bag house for buffing of MS only. no buffing, washing & cleaning of SS utensils has carried out. (2) DG set of 5 KVA has been removed. (3) fumes generated from process has been properly channelized with suction hood. (4) ETP has been installed & fee for adequacy report of water testing has deposited to GGSIP. (5) M/s Chanchal Enterprises has been renamed as M/s National Enterprises.
	Ask the unit to submit Bank Guarantee of Rs. 50,00 each under Air Act and Water Act valid for one year. If unit submits the Bank Guarantee, consent to establish be issued. 
	Ask the unit to submit Bank Guarantee of Rs. 50,00 each under Air Act and Water Act valid for one year. If unit submits the Bank Guarantee, consent to establish be issued. 

	86
	36051  
	23-12-2010
	OM TIN INDUSTRIES
	A-21,DSIDC JHIMIL INDUSTRIAL AREA
	Jhilmil Industrial Area
	Orange Establish
	Wire Drawing.
	04-01-2011 : BUA :250 sq. mts. GW: Nil Water Consumption :100 Litres/day Waste Water generation : (a) Domestic effluent:50 L/Day (b) Trade effluent: Nil Date of Commissioning:Feb 2011. D.G.Set: Nil KVA. CTO: not applied.
	Recommended for grant of consent to establish. 
	Issue consent to establish. 

	87
	36052  
	23-12-2010
	PIONEER FARM (A UNIT OF PIONEER PUBLICITY PVT.LTD.)
	KH.NO 54/8(3-19),9(4-16),10(4-6),PALLA BAKHATWARPUR ROAD G.T.K. ROAD
	NORTH WEST
	Orange Establish
	HOSPITALITY.
	10-02-2011 : CTE ---- CTE applied on 23.12.2010 with Id. No. 36052. Water Consumption ---- 5000 liters/day Ground Water ---- 5000 liters/day Built Up Area ---- 135 (in sq. meter) CETP Membership ---- N/A Date of commissioning of project ---- 01-01-2011 Waste Water generation Domestic Effluent ---- 2000 liters/day Trade Effluent ---- 4000 liters/day ETP / STP ---- Shall be installed. Test Report(Water) within Limit ---- N/A Test Report(Air) within Limit ---- N/A NMR Sumitted ---- N/A
	Seek compliance report of closure directions from the concerned agencies.
	Decision taken on file on 04.03.2011 ratified regarding submission of bank guarantee of Rs. 1 Lakh each under Air Act and Water Act valid for one year, If unit submits the bank guarnatee, consent to establish be issued. 

	88
	36055  
	24-12-2010
	JAIN INDUSTRIAL LIGHTNING CORPORATION
	B-70/22 DSIDC LAWRENCE ROAD INDUSTRIAL AREA
	Lawrence Road Industrial Area
	Orange Establish
	ELECTRICAL LIGHT FITTINGS CFL LAMPS ELECTRICAL APPLIANCES AND ELECTRONIC GOODS.
	09-02-2011 : CTE ---- CTE applied on 27.08.2010 with Id. No. 34941. Water Consumption ---- 200 liters/day Ground Water ---- 0 liters/day Built Up Area ---- 200 (in sq. meter) CETP Membership ---- Not Applied. Date of commissioning of project ---- 01.01.2011 Waste Water generation Domestic Effluent ---- 100 liters/day Trade Effluent ---- 0 liters/day ETP / STP ---- N/A Test Report(Water) within Limit ---- N/A Test Report(Air) within Limit ---- N/A NMR Sumitted ---- N/A
	Issue SCN for closure u/s 31(A) of the Air Act followed by inspection. Consent application of Green category be placed before CMC(Green) Committee.
	File be put up administratively. 

	89
	36057  
	24-12-2010
	CALCO PLOY COMPOUNDS PVT.LTD.
	PLOT NO 7,PHASE-II, BADLI INDUSTIRAL ESTATE
	Badli Industrial Estate
	Orange Establish
	PLASTIC PRODUCT (MASTER BATCH).
	09-02-2011 : CTE ---- CTE applied on 24.12.2010 with Id. No. 36057. Water Consumption ---- 300 liters/day Ground Water ---- 0 liters/day Built Up Area ---- 300 (in sq. meter) CETP Membership ---- Not Applied. Date of commissioning of project ---- 28.07.2009 Waste Water generation Domestic Effluent ---- 200 liters/day Trade Effluent ---- 0 liters/day ETP / STP ---- N/A Test Report(Water) within Limit ---- N/A Test Report(Air) within Limit ---- N/A NMR Sumitted ---- N/A
	Recommended for grant of consent to establish with the condition to provide hood & suction arrangement followed by a duct raised well above the roof levels (at least 2.0 meter above roof level) to channelize the process emissions. 
	Issue consent to establish without use of plastic scrap with the condition to provide hood & suction arrangement followed by a duct raised well above the roof levels (at least 2.0 meter above roof level) to channelize the process emissions. 

	90
	36060  
	24-12-2010
	APPLE ART PRESS PVT.LTD.
	PLOT NO 17,DLF MOTI NAGR INDUSTRIASL AREA
	Moti Nagar DLF Industrial Area
	Orange Establish
	OFFSET AND SCREEN PRINTING AND SCREEN PRINTING BOOK BINDING EMBOSSING ETC
	07-02-2011 : CTE ---- Applied on 24.12.2010 vide ID no 36060. Water Consumption ---- 150 liters/day Ground Water ---- 50 liters/day Built Up Area ---- 200 (in sq. meter) CETP Membership ---- Not Applicable Date of commissioning of project ---- March,2011. Waste Water generation Domestic Effluent ---- 150 liters/day Trade Effluent ---- 0 liters/day ETP / STP ---- N/A Test Report(Water) within Limit ---- N/A Test Report(Air) within Limit ---- N/A NMR Sumitted ---- N/A
	Ask the unit to clarify the reasons for mentioning the "Nil" discharge in view of the plate making activity being carried out. 
	Ask the unit to clarify the reasons for mentioning the "Nil" discharge in view of the plate making activity being carried out. Subsequently, inspection be conducted.

	91
	36068  
	24-12-2010
	PELICAN TRADERS
	A-27, (GROUP) WAZIRPUR INDUSTRIAL AREA
	Wazirpur Industrial Area
	Orange Establish
	VACCUM METALIZING ON PLASTIC ITEM.
	09-02-2011 : CTE ---- CTE applied on 24.12.2010 with Id. no. 36068. Water Consumption ---- 200 liters/day Ground Water ---- 0 liters/day Built Up Area ---- 300 (in sq. meter) CETP Membership ---- Not Applied. Date of commissioning of project ---- 01.01.2000 Waste Water generation Domestic Effluent ---- 100 liters/day Trade Effluent ---- 0 liters/day ETP / STP ---- N/A Test Report(Water) within Limit ---- N/A Test Report(Air) within Limit ---- Yes NMR Sumitted ---- N/A
	Recommended for grant of consent to establish.
	Issue consent to establish without use of plastic scrap.

	92
	36072  
	27-12-2010
	JINDAL FOOTWEAR INDUSTRIES
	H-15, UDYOG NAGAR INDUSTRIAL AREA
	Udyog Nagar Industrial area
	Orange Establish
	MFG OF ALL KINDS OF FOOTWEAR INCLUDING LEATEHR FOOTWEAR
	08-02-2011 : CTE : Applied on 27.12.2010 vide ID no 36072 Water Consumption ---- 350 liters/day Ground Water ---- 0 liters/day Built Up Area ---- 250 (in sq. meter) CETP Membership ---- Okhla Industrial Area CETP Society Date of commissioning of project : 15.01.2011 Waste Water generation Domestic Effluent ---- 200 liters/day Trade Effluent ---- 0 liters/day ETP / STP ---- N/A Test Report(Water) within Limit ---- N/A Test Report(Air) within Limit ---- N/A NMR Sumitted ---- Yes Earlier CMC decision Decision on 25.01.2010 Issue SCN u/s 31(A) of Air Act as the unit found engaged in the activity of Mfg. of PVC footwears. Decision on 07.10.2009 Inspection be conducted. Decision on 19.08.2010 Consent refused and issue closure directions. Decision on 25.11.2010 ask the unit to submit Bg of Rs. one lakh under Air Act valid ofr one year. if the unit submittd the BG closure direction be revoked. ATR/Remarks Unit submitted the Bg of Rs. one lakh on 23.12.2010 accordingly closure directions revoked on 23.12.2010 CTO issued valid upto 21.09.2006. Issued CTO_R valid upto 21.09.2009. Applied for CTO_R on 18.09.2009 and the same was refused on 08.10.2010 as one DG set of 125 KVA found installed without acoustic enclosure and inadequate stack height found during inspection. accordingly SCN u/s 31 (A) of AIr Act was issued on 23.02.2010 to the unit but the unit was failed to submit any reply so far.
	Recommended for grant of consent to establish.
	Issue consent to establish without use of plastic scrap.

	93
	36073  
	27-12-2010
	JINDAL ENTERPRISES
	H-15, UDYOG NAGAR INDUSTRIAL AREA
	Udyog Nagar Industrial area
	Orange Establish
	MFG OF ALL KINDS OF FOOTWEAR INCLUDING LEATEHR FOOTWEAR
	08-02-2011 : CTE : Applied on 27.12.2010 vide ID no. 36073 Water Consumption ---- 400 liters/day Ground Water ---- 0 liters/day Built Up Area ---- 300 (in sq. meter) CETP Membership ---- Not Applicable Date of commissioning of project: 15 jan 2011 Waste Water generation Domestic Effluent ---- 250 liters/day Trade Effluent ---- 0 liters/day ETP / STP ---- N/A Test Report(Water) within Limit ---- N/A Test Report(Air) within Limit -- NMR Sumitted ---- N/A Decision on 25.01.2010 Issue SCN u/s 31(A) of Air Act and u/s 5 of EPA as the unit found engaged in the activity of Mfg. of PVC footwears and dana by using plastic scrap. Decision on 07.10.2009 Inspection be conducted. Decision on 19.08.2010 Consent refused and issue closure directions. Decision on 25.11.2010 ask the unit to submit BG of Rs. one lakh each under Air Act & HWM Rules valuid for one year. ATR/ Remarks unit submitted the BG of Rs. one lakh on 13.12.2010 and the closure directions were revoked on 27.12.2010 Earlier CTO issued valid upto 04.09.2009 vide consent order no. 17730 Applied for CTO-R on 18.09.09 and the same was refused on 13.10.2010 as the unit found during inspection engaged in the activity of PVC footewaet and dana by using plastic scrap without using any pollution control measures.
	Recommended for grant of consent to establish.
	Issue consent to establish without use of plastic scrap.

	94
	36075  
	27-12-2010
	SHASHANK MITTAL
	340/38,GALI NO 1B FRIENDS COLONY INDUSTRIAL AREA
	Friends Colony Industrial Area
	Orange Establish
	Manufacturing of Copper Wire Drawing.
	04-01-2011 : BUA :168 sq. mts. GW: Nil Water Consumption : 200Litres/day Waste Water generation : (a) Domestic effluent: 100 L/Day (b) Trade effluent: Nil Date of Commissioning:Jan 2011. D.G.Set: Nil KVA. CTO:Not applied.
	Recommended for grant of consent to establish with the stipulations of MPD-2021 regarding number of workers and plot area. 
	Issue consent to establish with the stipulations of MPD-2021 regarding number of workers and plot area. 

	95
	36083  
	28-12-2010
	AKASH DEEP DALL MILL
	B-281SECTOR-4,DSIDC BAWANA INDUSTRIAL AREA
	Bawana Industrial Area
	Orange Establish
	Mfg. of PVC Compound and Plastic Products.
	04-02-2011 : Water Consumption ---- 250 liters/day Ground Water ---- 0 liters/day Built Up Area ---- 250 (in sq. meter) Cetp Membership ---- Not Applicable Date of commissioning of project ---- 20-12-2004 Waste Water generation Domestic Effluent ---- 150 liters/day Trade Effluent ---- 0 liters/day ETP / STP ---- No Test Report(Water) within Limit ---- N/A Test Report(Air) within Limit ---- N/A NMR Sumitted ---- N/A
	Recommended for grant of consent to establish with the condition to provide hood & suction arrangement followed by a duct raised well above the roof levels (at least 2.0 meter above roof level) to channelize the process emissions. 
	Issue consent to establish for mfg. of PVC granules and plastic products without use of plastic scrap with the condition to provide hood & suction arrangement followed by a duct raised well above the roof levels (at least 2.0 meter above roof level) to channelize the process emissions. 

	96
	36084  
	28-12-2010
	RAJPUT PLASTC INDUSTRIES
	H-217,SECTOR-1DSIDC BAWANA INDUSTRIAL AREA
	Bawana Industrial Area
	Orange Establish
	Mfg. of PVC and Plastic Products.
	04-02-2011 : Water Consumption ---- 200 liters/day Ground Water ---- 0 liters/day Built Up Area ---- 100 (in sq. meter) Cetp Membership ---- Not Applicable Date of commissioning of project ---- 12-08-2003 Waste Water generation Domestic Effluent ---- 150 liters/day Trade Effluent ---- 0 liters/day ETP / STP ---- No Test Report(Water) within Limit ---- N/A Test Report(Air) within Limit ---- N/A NMR Sumitted ---- N/A
	Recommended for grant of consent to establish with the condition to provide hood & suction arrangement followed by a duct raised well above the roof levels (at least 2.0 meter above roof level) to channelize the process emissions. 
	Issue consent to establish without use of plastic scrap with the condition to provide hood & suction arrangement followed by a duct raised well above the roof levels (at least 2.0 meter above roof level) to channelize the process emissions. 

	97
	36095  
	28-12-2010
	MANOJ ADVERTISERS
	PLOT NO 17,POCKET-G,SECTOR-3DSIDC BAWANA INDUSTRIAL AREA
	Bawana Industrial Area
	Orange Establish
	Mfg. of plastic moulded items.
	04-02-2011 : Water Consumption ---- 100 liters/day Ground Water ---- 0 liters/day Built Up Area ---- 150 (in sq. meter) Cetp Membership ---- Not Applicable Date of commissioning of project ----Jan 2011 Waste Water generation Domestic Effluent ---- 50 liters/day Trade Effluent ---- 0 liters/day ETP / STP ---- No Test Report(Water) within Limit ---- N/A Test Report(Air) within Limit ---- N/A NMR Sumitted ---- N/A
	Recommended for grant of consent to establish with the condition to provide hood & suction arrangement followed by a duct raised well above the roof levels (at least 2.0 meter above roof level) to channelize the process emissions. 
	Issue consent to establish without use of plastic scrap with the condition to provide hood & suction arrangement followed by a duct raised well above the roof levels (at least 2.0 meter above roof level) to channelize the process emissions. 

	98
	36104
	29-12-2010
	VIKAS PENCIL MANUFACTURING PVT. LTD.
	F-2779, SECTOR-F, DSIDC
	NARELA INDUSTRIAL AREA
	Orange Establish
	Mfg. of Pencil
	ATR Remarks:

CTE ---- CTE issued on 24.09.2009 under green category and valid upto 23.09.2010 Vide C.no. 21288.
Water Consumption ---- 300 liters/day
Ground Water ---- 0 liters/day
Built Up Area ---- 100 (in sq. meter)
CETP Membership ---- N/A
Date of commissioning of project ---- 01.01.2011
Waste Water generation 
  Domestic Effluent ---- 240liters/day
  Trade Effluent ---- Nil
ETP / STP ---- N/A
Test Report(Water) within Limit ---- N/A 
Test Report(Air) within Limit ---- N/A 
NMR Sumitted ---- N/A
	Recommended for grant of consent to establish. 
	Issue consent to establish. 

	99
	36105  
	29-12-2010
	AADISH INTERNATIONAL
	B-72/4 WAZIRPUR INDUSTRIAL AREA
	Wazirpur Industrial Area
	Orange Establish
	MFG. OF RUBBER PRODUCTS (AUTO MACHINERY PARTS COMPONENTS).
	09-02-2011 : CTE ---- CTE applied on 29.12.2010 with Id. no. 36105. Water Consumption ---- 500 liters/day Ground Water ---- 0 liters/day Built Up Area ---- 85 (in sq. meter) CETP Membership ---- Not Applied. Date of commissioning of project ---- 15.03.2011. Waste Water generation Domestic Effluent ---- 320 liters/day Trade Effluent ---- 0 liters/day ETP / STP ---- N/A Test Report(Water) within Limit ---- N/A Test Report(Air) within Limit ---- N/A NMR Sumitted ---- N/A
	Recommended for grant of consent to establish. 
	Issue consent to establish. 

	100
	36111  
	29-12-2010
	SHAKTI PROCESSORES
	PLOT NO 121,POCKET-D,SECTOR-4,DSIDC BAWANA INDUSTRIAL AREA
	Bawana Industrial Area
	Orange Establish
	Flour Mill
	04-02-2011 : Water Consumption ---- 400 liters/day Ground Water ---- 0 liters/day Built Up Area ---- 200 (in sq. meter) Cetp Membership ---- N/A Date of commissioning of project ---- Jan 2011 Waste Water generation Domestic Effluent ---- 200 liters/day Trade Effluent ---- 0 liters/day ETP / STP ---- No Test Report(Water) within Limit ---- N/A Test Report(Air) within Limit ---- N/A NMR Sumitted ---- N/A
	Recommended for grant of consent to establish.  Subsequently, inspection be conducted.
	Issue consent to establish.  Subsequently, inspection be conducted.

	101
	36119  
	29-12-2010
	VISHAL BANSAL & CO.
	PLOT NO.9, MPL-530, GALI NO.4, FRIENDS COLONY INDUSTRIAL AREA, SHAHDARA
	Friends Colony Industrial Area
	Orange Establish
	Copper Wire Drawing.
	03-02-2011 : CTE ---- Applied on 30.04.2008. Pending. Water Consumption ---- 170 liters/day Ground Water ---- 0 liters/day Built Up Area ---- 67 (in sq. meter) Cetp Membership ---- Yes.Friends Colony Industrial Area CETP Society. Membership No ---- 4260 Date of commissioning of project ---Nov 2001.- Waste Water generation Domestic Effluent ---- 50 liters/day Trade Effluent ---- 0 liters/day ETP / STP ---- N/A Test Report(Water) within Limit ---- N/A Test Report(Air) within Limit ---- N/A D.G.Set:Nil. NMR Sumitted ---- N/A
	Inspection be conducted to ascertain the stoppage of super enamelling activity.
	Inspection be conducted to ascertain the stoppage of super enamelling activity.

	102
	36122
	29-12-2010
	MIJO AUTO GAS PVT. LTD.
	S-110, PHASE-I
	BADLI INDUSTRIAL ESTATE
	Orange Establish
	Mfg. of CNG /LPG conversion Kit with installation assembling Machining and testing.
	ATR Remarks:

CTE ---- CTE applied on 29.12.2010 with Id. no. 36122
Water Consumption ---- 400 liters/day
Ground Water ---- 0 liters/day
Built Up Area ---- 620 (in sq. meter)
CETP Membership ---- Not Applied.
Date of commissioning of project ---- 01.02.2011
Waste Water generation 
  Domestic Effluent ---- 350liters/day
  Trade Effluent ---- Nil
ETP / STP ---- N/A
Test Report(Water) within Limit ---- N/A 
Test Report(Air) within Limit ---- N/A 
NMR Sumitted ---- N/A
	Recommended for grant of consent to establish.  Subsequently, inspection be conducted.
	Inspection be conducted.

	103
	36126  
	30-12-2010
	NATHUS FOODS PVT. LTD.
	F-17 , VIJAY BLOCK , LAXMI NAGAR
	EAST
	Orange Establish
	Restaurant/Eating House.
	06-01-2011 : BUA: 18.58sq yd GW: Nil Water Consumption: 3500 lit/day. Waste Water: (a) domestic effluent: 700 lit/day. (b) Trade Effluent:500 lit/day. Year of estblishment: 2000 (existing). D.G.Set:125 KVA. NMR: No ETP: Not submitted
	Recommended for grant of consent to establish. 
	Issue consent to establish. 


	S. No.
	Enquiry Counter I.D. No
	Application Date
	Industry Name
	Industry Address
	Industrial Area
	Category
	Activitiy / Product
	Consent Status
	Earlier Committee Decision
	Remarks / Action Taken / ATR
	Recommendations of Scrutinizing Committee on 11.02.2011
	Decision recommended by CMC(Orange) on 16.03.2011

	1
	32880
	22-02-2010
	ELECTRO SPARK
	A-126, PHASE-II
	OKHLA INDUSTRIAL AREA
	OPERATE
	Powder Coating
	Pending
	23.03.10
Ask the unit to apply for authorization under HWM Rules afresh with due rectification of the deficiencies noted during inspection.

27.08.10
Issue consent to operate. Issue reminder to the unit for removal of deficiencies w.r.t storage of hazardous waste.
	1.Comencement: Nov 2006, Area-1251.25 sq yards
2.Trade Effluent: 6000 Lt/d, adequacy report dt. May 2009 with  effluent analysis report dt. 18.05.09 submitted.
3.DG: One DG of 82.5Kva . NMR dt. 30.12.09 submitted.
4.GW: Nil
5. CTE obtained. 
6. Fresh HWM authorization applied.

CTO not issued as aproved on 27.08.10 since stack monitoring report has not been submitted. However, reminder letter was issued to the unit on 26.10.10 regarding removal  of deficiencies w.r.t storage of hazardous waste as per decision of CMC on 27.08.10.
File was put up administratively and accordingly, case being submitted for reviewing the earlier CMC decision on 27.08.2010 for issueance of CTO.
Now, unit has submitted its reply along with stack monitoring report of oil fired burner & thermic fluid heater on 03.12.10 and also submitted its representation w.r.t. letter dated 26.10.10 and mentioned that they have removed all the deficiencies w.r.t. storage of hazardous waste.
	Decision taken on file be ratified. Recommended for grant of renewal of consent and authorization under HWM Rules.
	Decision taken on file ratified. Issue renewal of consent and authorization under HWM Rules.

	2
	28165
	21.11.2008
	BHARAT PETROLEUM CORPORATION LTD
	BIJWASAN INSTALLATION, BIJWASAN
	NC-SW
	Renewal
	Storage and distribution of petroleum product
	Pending
	Decision on 13.01.2011
File be put up administatively
	Earlier CTO issued valid upto 04.07.2005 for the activity of receiving, storage and distribution of petroleum products.
CTO_R issued valid upto 21.11.2008 for the activity of storage & distribution of petroleum products.
Applied for renewal of authorization under HWM Rules on 08.04.2009 vide application no 4994.
	Recommended for grant of renewal of consent. Ask the unit to apply for fresh authorization under HWM Rules. 
	Issue renewal of consent. Ask the unit to apply for fresh authorization under HWM Rules. 

	3
	27274
	10.09.2008
	Paragon Cable India
	29
	Rajasthani Udyog Nagar Indl. Area
	RENEWAL
	Mfg of PVC, XLPE insulated wire & cable
	Pending
	 
	CTE : Not Required
Water Consumption :850 l/d
Waste Water generation : 
(a) Domestic effluent: 300l/d
(b) Trade effluent: NIL
Date of Commissioning:2004
ETP :  NA.
Test Report (Water) within limit :  NA.
Test Report (Air) within limit :  NA. 
NMR within limited submitted :  125 x 2 D.G. Sets. Noise monitoring report dated 28.08.2008 submitted. 
Unit has submitted a request letter on 01.02.1011 for granting of consent.
	Recommended for grant of renewal of consent.
	Issue renewal of consent.
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	Application Date
	Industry Name
	Industry Address
	Industrial Area
	Category
	Activitiy / Product
	Consent Status
	Earlier Committee Decision
	Remarks / Action Taken / ATR
	Recommendations of Scrutinizing Committee on 11.02.2011
	Decision recommended by CMC(Orange) on 16.03.2011

	1
	30882
	27-07-2009
	LASA INDUSTRIES
	C-28, DDA SHEDS, PHASE-I
	OKHLA INDUSTRIAL AREA
	RENEWAL
	Mfg. & Trading of Solder Wire
	Pending
	11.10.2010
Inspection be conducted.
	CTE : Not Required
Water Consumption :200l/d
Waste Water generation : 
(a) Domestic effluent: 200l/d
(b) Trade effluent: NIL
Date of Commissioning:1992 
ETP :  NA.
STP :  No. 
Test Report (Water) within limit :  NA.
Test Report (Air) within limit :  NA. 
NMR submitted :  NA.
Inspection was carried out by DPCC officials on 03.02.2011 and following were observed:
1. The unit is engaged in the mfg of solder wire with the help of LPG burner, Rolling M/c, Drawing M/c etc.
2. Proper hood & adequate stack has not been provided over the LPG burner ( 2 nos) where melting of tin solder is carried out.
3. DG Set of 15 KVA was lying in efunct condition without acoustic enclosure.
	Ask the unit to correct the deficiencies observed during the inspection and submit an affidavit in this regard. 
	Ask the unit to correct the deficiencies observed during the inspection and submit an affidavit in this regard. 

	2
	30942
	30-07-2009
	SHANKER ENTERPRISES
	C-84, DDA SHEDS, PHASE-I
	OKHLA INDUSTRIAL AREA
	OPERATE
	Mfg of Winding Wires (Submersible)
	Pending
	11.10.2010
Inspection be conducted.
	CTE : issued on 17.06.09
Water Consumption : 250L/d + 700Lper 15 days.
Waste Water generation : 
(a) Domestic effluent: 200L(in application) & 80L/d(on affidavit)
(b) Trade effluent: 700L/15days(on application) & NIL (on affidvait)
Date of Commissioning: Dec 2008
ETP :  No .
STP :  No. 
Test Report (Water) within limit :  No .
Test Report (Air) within limit :  No . 
NMR submitted :  No
1.D.G. Set- 25 KVA.
2. G.W-Nil.
3.HWM- not applied 
4.CTE(Orange)  granted CNO.20636 valid upto 17.06.09.
Inspection was carried out by DPCC officials on 19.01.2011 and following were observed:
1. The unit is engaged in the activity of mfg of copper winding wire (submersible).
2. Mfg process involves covering of BOPP film over readymade copper wire with the help of tapping m/c after that covered copper wire are kept in electric oven and finally leakage of winding wire is tested in a container filled with plain water at high voltage.
3. Adequate stack height has been provided with electric oven.
4. DG Set of 25 KVA has been removed from the premises.
	Recommended for grant of consent to operate.
	Issue consent to operate.

	3
	30825
	22-07-2009
	MECHANICAL COCKS & VALVES (INDIA)
	Y-21, PHASE-II
	OKHLA INDUSTRIAL AREA
	RENEWAL
	Mfg. of Brass components (Without washing) 
	Pending
	11.10.2010
Inspection be conducted to check the type of furnace.
	1.D.G. Set-62.5KVA. & NMR submitted dated 27.05.09.
2. G.W-Nil.
3.HWM- not applied 
4.CTO(Orange)  granted CNO.9599 valid upto 08.05.06.
5.CTR(Orange) granted CNO 15010 valid upto 08.05.09. 
6 ECS submitted dated May 2009  . 
7. SMR  submitted  dated 20.05.09
8.CTE not required.
Inspection was carried out by DPCC officials on 02.02.2011 and following were observed:
1. Unit found in operation.
2. Unit is having three oil fired furnaces.
3. The top of working furnace is about 3' above ground level.
4. Unit has installed ECS (wet scrubber) and found in operation.
5. Unit having two DG Set (62.5 & 15 KVA) but 15 KVA DG Set found w/o acoustic enclosure and inadequate stack height.
6. Unit is not fully complying with the provisions of HWM Rules.
	Ask the unit to correct the deficiencies observed during the inspection and submit an affidavit in this regard.  Decision on consent application be deferred till DDA clarification. 
	Ask the unit to correct the deficiencies observed during the inspection and submit an affidavit in this regard.  


	S. No.
	Enquiry Counter I.D. No
	Application Date
	Industry Name
	Industry Address
	Industrial Area
	Category
	Activitiy / Product
	Earlier CMC Decisions  
	Remarks / Action Taken / ATR
	Recommendations of Scrutinizing Committee on 28.02.2011
	Decision recommended by CMC(Orange) on 16.03.2011

	1
	35791  
	01-12-10
	DARSHAN TRADING CO
	C-34, LAWRENCE ROAD INDL AREA
	Lawrence Road Industrial Area
	Orange Renewal
	MEAT PROCESSING UNIT WITH COLD STORAGE FACILITIES.
	 
	22-02-2011 : Earlier CMC Decision: 27.08.2010 Reinspection conducted by AEE in nov, 2001. CTE ---- CTE applied on 05.03.2008 Vide Id.No. 25103. Water Consumption ---- 2500 liters/day Ground Water ---- 2000 liters/day Built Up Area ---- 1000 (in sq. meter) CETP Membership ---- Keshav Puram Industrial Area CETP Society / Membership No ---- 4248 Date of commissioning of project ---- 01.01.1980 Waste Water generation Domestic Effluent ---- 400 liters/day Trade Effluent ---- 2000 liters/day ETP / STP ---- Yes Test Report(Water) within Limit ---- Yes Test Report(Air) within Limit ---- N/A NMR Sumitted ---- Yes
	Unit has submitted adequacy report dated 29.10.2010. Therefore, no need of reinspection. Recommended for grant of renewal of consent. Inform to DJB regarding ground water extraction. 
	Issue renewal of consent. Inform to DJB regarding ground water extraction. 

	2
	35795  
	01-12-10
	CHATMOLA FOOD PRODUCTS
	308/5, SHAHZADA BAGH INDUSTRIAL AREA
	Shahzada Bagh Industrial Area
	Orange Operate
	Confectionery item ( sugar coated saunf).
	 
	03-02-2011 : CTE ---- yes 9.9.2005 Water Consumption ---- 190 liters/day Ground Water ---- 0 liters/day Built Up Area ---- 110 (in sq. meter) Cetp Membership ---- Not Applicable Date of commissioning of project ---- 01-01-2005 Waste Water generation Domestic Effluent ---- 75 liters/day Trade Effluent ---- 0 liters/day ETP / STP ---- no Test Report(Water) within Limit ---- N/A Test Report(Air) within Limit ---- N/A NMR Sumitted ---- N/A
	Inspection be conducted to check the trade effluent discharge.
	Inspection be conducted to check the trade effluent discharge.

	3
	35797  
	01-12-10
	GAURAV UDYOG
	11, S.S.I INDUSTRIAL AREA, G.T.KARNAL ROAD
	G.T. Karnal Road Industrial Area
	Orange Operate
	MFG. OF S.S. UTENSILS WITH BUFFING.
	 
	10-02-2011 : Earlier CMC Decision: Competent authority 26.11.2010: SCN for closure u/s 31(A) of air act. ATR remarks: SCN issued on 15.12.2010 Reply received on 23.12.2010. CTE ---- CTE isued on 26.11.2009 and valid upto 25.11.2010 VIde C.No. 22099 Water Consumption ---- 200 liters/day Ground Water ---- 0 liters/day Built Up Area ---- 300 (in sq. meter) CETP Membership ---- North West Industrial Area C.E.T.P society. Date of commissioning of project ---- 01.01.2005 Waste Water generation Domestic Effluent ---- 100 liters/day Trade Effluent ---- 0 liters/day ETP / STP ---- N/A Test Report(Water) within Limit ---- N/A Test Report(Air) within Limit ---- Yes NMR Sumitted ---- Yes
	Ask the unit to submit its reply on an affidavit, Bank Guarantee of Rs. 50,000 under Air Act valid for one year. If unit submits the aforesaid documents, issue consent to operate.
	Ask the unit to submit its reply on an affidavit, Bank Guarantee of Rs. 50,000 under Air Act valid for one year. If unit submits the aforesaid documents, issue consent to operate.

	4
	35798  
	01-12-10
	S.K. JAIN
	A-32, GROUP, TOP FLOOR, WAZIRPUR INDUSTRIAL AREA
	Wazirpur Industrial Area
	Orange Operate
	BUFFING ON UTENSILS JOB WORK BASIS.
	 
	10-02-2011 : Earlier CMC Decision: 21.01.2011 issue consent to establish. Subsequently, inspection be conducted. CTE ---- CTE applied on 29.10.2010 with Id. no. 35527. Water Consumption ---- 20 liters/day Ground Water ---- 0 liters/day Built Up Area ---- 100 (in sq. meter) CETP Membership ---- Wazirpur Industrial Pollution Control Co. Date of commissioning of project ---- Waste Water generation Domestic Effluent ---- 10 liters/day Trade Effluent ---- 0 liters/day ETP / STP ---- N/A Test Report(Water) within Limit ---- N/A Test Report(Air) within Limit ---- Yes NMR Sumitted ---- N/A
	File be put up administratively in view of the complaint.
	File be put up administratively in view of the complaint.

	5
	35799  
	01-12-10
	SHRI BALAJI MEATALISER
	B-35/5, G.T. KARNAL ROAD INDUSTRIAL AREA
	G.T. Karnal Road Industrial Area
	Orange Operate
	VACCUM METALIZED ITEMS.
	 
	10-02-2011 : CTE ---- Not Applied. Water Consumption ---- 700 liters/day Ground Water ---- 0 liters/day Built Up Area ---- 200 (in sq. meter) CETP Membership ---- G.T. Karnal Road Industrial Estate CETP Society / Membership No ---- 2245 Date of commissioning of project ---- 01.01.2003 Waste Water generation Domestic Effluent ---- 100 liters/day Trade Effluent ---- 500 liters/day ETP / STP ---- No Test Report(Water) within Limit ---- N/A Test Report(Air) within Limit ---- N/A NMR Sumitted ---- N/A
	Ask the unit to apply for authorization under HWM Rules. 
	Ask the unit to apply for authorization under HWM Rules. 

	6
	35800  
	02-12-10
	GOLDEN PRINTERS
	A-76,NARAINA INDUSTRIAL AREA PH-I
	Naraina Industrial Area Phase - I
	Orange Operate
	OFFST PRINTING WITHOUT TRADE EFFLUENT DISCHARGE
	 
	09-02-2011 : CTE Issued valid upto 06.09.2011 vide cosent order no 25431. CTO_R issued valid upto 21.03.2010 vide consent order no 12600 Unit is applied for fresh authorization under HWM Rules on 02.12.2010 vide ID no 0522 Water Consumption ---- 150 liters/day Ground Water ---- 0 liters/day Built Up Area ---- 260 (in sq. meter) CETP Membership ---- Naraina Industrial Area CETP Society / Membership No ---- 791 Date of commissioning of project ---- Aug,2010 Waste Water generation Domestic Effluent ---- 100 liters/day Trade Effluent ---- 0 liters/day ETP / STP ---- N/A Test Report(Water) within Limit ---- N/A Test Report(Air) within Limit ---- N/A NMR Sumitted ----Yes, dated on 27.08.2010
	Recommended for grant of consent to operate and authorization under HWM Rules.
	Issue consent to operate and authorization under HWM Rules.

	7
	35801  
	02-12-10
	VANDNA ELECTRICALS
	PLOT NO.-14, POCKET-G, SECTOR-3, DSIDC BAWANA INDUSTRIAL AREA
	Bawana Industrial Area
	Orange Operate
	Manufacturing of Electrical Fans and Appliances.
	 
	03-02-2011 : CTE ---- pending Water Consumption ---- 200 liters/day Ground Water ---- 0 liters/day Built Up Area ---- 150 (in sq. meter) Cetp Membership ---- Not Applicable Date of commissioning of project ---- 01-01-2005 Waste Water generation Domestic Effluent ---- 100 liters/day Trade Effluent ---- 0 liters/day ETP / STP ---- no Test Report(Water) within Limit ---- N/A Test Report(Air) within Limit ---- N/A NMR Sumitted ---- N/A
	Inspection decided w.r.t CTE application be expedited.
	Inspection decided w.r.t CTE application be expedited.

	8
	35804  
	02-12-10
	RAJDHANI POLYMERS
	A-113,PHASE-II MANGOLPURI INDUSTRIAL AREA
	Mangolpuri Industrial Area
	Orange Operate
	MFG. OF EVA COMPOUND.
	 
	10-02-2011 : CTE ---- CTE applied on 30.11.2010 with Id.No. 35784. Water Consumption ---- 250 liters/day Ground Water ---- 0 liters/day Built Up Area ---- 200 (in sq. meter) CETP Membership ---- Mangolpuri Industrial Area Phase - I & II CETP Society Date of commissioning of project ---- 01.12.2010 Waste Water generation Domestic Effluent ---- 200 liters/day Trade Effluent ---- 0 liters/day ETP / STP ---- N/A Test Report(Water) within Limit ---- N/A Test Report(Air) within Limit ---- N/A NMR Sumitted ---- N/A
	Recommended for grant of consent to operate if unit complies with the directions of CMC(Orange) dated 14.02.2011 in CTE application.
	Issue consent to operate if unit complies with the directions of CMC(Orange) dated 14.02.2011 in CTE application.

	9
	35806  
	02-12-10
	SHRI SAAWARIYA PRODUCTS
	A-113.FIRST FLOOR,PHASE-II MANGOLPURI INDUSTRIAL AREA
	Mangolpuri Industrial Area
	Orange Operate
	MFG. OF PVC FOOTWEAR.
	 
	10-02-2011 : CTE ---- CTE applied on 30.11.2010 with Id. No. 35782. Water Consumption ---- 250 liters/day Ground Water ---- 0 liters/day Built Up Area ---- 200 (in sq. meter) CETP Membership ---- Mangolpuri Industrial Area Phase - I & II CETP Society / Membership No ---- 3796 Date of commissioning of project ---- 01.01.2010. Waste Water generation Domestic Effluent ---- 200 liters/day Trade Effluent ---- 0 liters/day ETP / STP ---- N/A Test Report(Water) within Limit ---- N/A Test Report(Air) within Limit ---- N/A NMR Sumitted ---- N/A
	Recommended for grant of consent to operate, with the condition to provide hood & suction arrangement followed by a duct raised well above the roof levels (at least 2.0 meter above roof level) to channelize the process emissions and submit an compliance report on an affidavit within 06 months, if unit complies with the directions of CMC(Orange) dated 14.02.2011 in CTE application.
	Issue consent to operate, with the condition to provide hood & suction arrangement followed by a duct raised well above the roof levels (at least 2.0 meter above roof level) to channelize the process emissions and submit an compliance report on an affidavit within 06 months, if unit complies with the directions of CMC(Orange) dated 14.02.2011 in CTE application.

	10
	35808  
	02-12-10
	HYDMARK APPLICON
	A-5/4 PH-II, MAYAPURI INDUSTRIAL AREA
	Mayapuri Industrial Area
	Orange Renewal
	MFG OF HYDRAULIC EQUIPMENTS
	 
	08-02-2011 : CTE: Applied on 05.01.2011 vide ID no 36154 Water Consumption ---- 200 liters/day Ground Water ---- 0 liters/day Built Up Area ---- 168 (in sq. meter) CETP Membership ---- Mayapuri Industrial Area CETP Society / Membership No ---- 10891 Date of commissioning of project : 1989 Waste Water generation Domestic Effluent ---- 100 liters/day Trade Effluent ---- 0 liters/day ETP / STP ---- N/A Test Report(Water) within Limit ---- N/A Test Report(Air) within Limit ---- N/A NMR Sumitted ---- N/A ATR/Remarks Earlier CTo was refused on 30.07.2004. CTo issued valid upto 07.09.2007 Applied for CTO_R on 07.09.07 vide ID no. 23428
	Inspection be conducted in view of negative list as per MPD-2021.
	Inspection be conducted in view of negative list as per MPD-2021.

	11
	35815  
	03-12-10
	T.R. SAWHNEY MOTORS PVT. LTD.
	B-5, PHASE-I , BADLI INDUSTRIAL ESTATE
	Badli Industrial Estate
	Orange Renewal
	CAR WASHING CUM SERVICE STATION.
	 
	10-02-2011 : CTE ---- CTE issued on 08.08.2003 and valid upto 07.08.2004 Vide C.No. 7174. Water Consumption ---- 3500 liters/day Ground Water ---- 0 liters/day Built Up Area ---- 780 (in sq. meter) CETP Membership ---- Badli Industrial Area CETP Society / Membership No -- -- 6403 Date of commissioning of project ---- 01.01.2003 Waste Water generation Domestic Effluent ---- 200 liters/day Trade Effluent ---- 3000 liters/day ETP / STP ---- No Test Report(Water) within Limit ---- No Test Report(Air) within Limit ---- Yes NMR Sumitted ---- Yes
	Inspection be conducted.
	Inspection be conducted.

	12
	35818  
	03-12-10
	AMAN POLYMEARS
	PLOT NO.-273, POCKET-K, SECTOR-3, DSIDC BAWANA INDUSTRIAL AREA
	Bawana Industrial Area
	Orange Operate
	Mfg.of PVC Compound and all kind of footwear including leather footwear and PVC Footwear.
	 
	03-02-2011 : CTE ---- yes 29.6.2010 Water Consumption ---- 250 liters/day Ground Water ---- 0 liters/day Built Up Area ---- 150 (in sq. meter) Cetp Membership ---- Not Applicable Date of commissioning of project ----1.7.2010 Waste Water generation Domestic Effluent ---- 200 liters/day Trade Effluent ---- 0 liters/day ETP / STP ---- no Test Report(Water) within Limit ---- N/A Test Report(Air) within Limit ---- N/A NMR Sumitted ---- N/A
	Recommended for grant of consent to operate with the condition to provide hood & suction arrangement followed by a duct raised well above the roof levels (at least 2.0 meter above roof level) to channelize the process emissions and submit an compliance report on an affidavit within 06 months.
	Issue consent to operate for mfg of PVC granules and all kind of footwear including leather footwear and PVC footear without use of plastic scrap with the condition to provide hood & suction arrangement followed by a duct raised well above the roof levels (at least 2.0 meter above roof level) to channelize the process emissions and submit an compliance report on an affidavit within 06 months.

	13
	35837  
	03-12-10
	KAMAL BHARDWAJ
	340/14-A, GALI NO.1B, FRIENDS COLONY INDUSTRIAL AREA
	Friends Colony Industrial Area
	Orange Operate
	Manufacturing of Auto Parts (Frictional Material)
	 
	03-02-2011 : CTE ----Granted, valid upto16.09.2003. Again applied on 12.05.2009.(Pending). water consumption--- 50 liters/day Ground Water ---- 0 liters/day Built Up Area ---- 83.6 (in sq. meter) Cetp Membership ---- Jhilmil & Friends Colony Industrial Area CETP Society / Membership No ---- 4599 Date of commissioning of project ---- 2010. Waste Water generation Domestic Effluent ---- 20 liters/day Trade Effluent ---- 0 liters/day ETP / STP ---- N/A Test Report(Water) within Limit ---- N/A ECS: YES. Test Report(Air) within Limit ---- N/A D.G.Set:62.5KVA. NMR Sumitted ---- Yes (25.10.2010) Earlier unit was issued losure notice under 31(A) of Air Act.
	Ask the unit to submit Bank Guarantee of Rs. 50,000 under Air Act valid for one year. If unit submits the Bank Guarantee, issue consent to operate and consent to establish.
	Ask the unit to submit Bank Guarantee of Rs. 50,000 under Air Act valid for one year. If unit submits the Bank Guarantee, issue consent to operate and consent to establish.

	14
	35838  
	03-12-10
	KARAN WIRE INDUSTRIES
	340/61, GALI NO. 1B, FRIENDS COLONY INDUSTRIAL AREA, G.T. ROAD, SHAHDARA
	Friends Colony Industrial Area
	Orange Renewal
	Copper Wire Drawing with Super Enamelling.
	 
	03-02-2011 : The unit was issued closure direction on 20.10.10 as no ECS was not found in operation on 24.09.2010. the unit has not applied for CTO yet. CTE:No BUA :130Sq. m. Water Consumption :150 L/Day. Waste Water generation : (a) Domestic effluent:30 L/Day. (b) Trade effluent: Nil CETP Membership No.3912. Date of Commissioning:2002.(Existing) ETP/STP : NA DG set:Nil. As per inspection 1 DG set of 125 kva is also without A/E Earlier unit was issued losure direction under 31(A) of Air Act.
	Ask the unit to submit the Bank Guarantee of Rs. 1 Lakh each under Air Act and HWM Rules valid for one year. If unit submits the Bank Guarantee, closure directions be revoked temporarily for 45 days to enable the unit the submission of the monitoring reports from approved laboratory of DPCC. 
	Ask the unit to submit the Bank Guarantee of Rs. 1 Lakh each under Air Act and HWM Rules valid for one year. If unit submits the Bank Guarantee, closure directions be revoked temporarily for 45 days to enable the unit the submission of the monitoring reports from approved laboratory of DPCC. 

	15
	35839  
	09-12-10
	D G ESTATES PVT LTD. PARK PLAZA HOTEL SERVICES
	1-B, SUB DISTRICT CENTRE, HARI NAGAR
	WEST
	Orange Operate
	HOTEL
	 
	08-02-2011 : CTE issued valid upto 17.12.2009 vide consent order no.19363. Water Consumption ---- 65000 liters/day Ground Water ---- 0 liters/day Built Up Area ---- 3375 (in sq. meter) CETP Membership ---- N/A Date of commissioning of project : Oct, 2010 Waste Water generation Domestic Effluent ---- 38000 liters/day Trade Effluent ---- 21000 liters/day ETP / STP: Adequacy report of ETP sumittted dated on Sep,2010. Test Report(Water) within Limit : not submitted. Test Report(Air) within Limit ---- N/A NMR Sumitted ---- Yes NMR Sumitted ---- Yes ATR: compilance affidavit of CTE is not submitted and adequacy report of ETP is also not submitted.
	Issue the letter to the unit for rectification of the deficiencies in consent to operate application on an affidavit. Inspection may also be conducted to check the existence of the boiler.
	Unit has submitted a efluent analysis report meeting the newly notified standards for hotel and submitted an affidavit for the compliance of the CTE condition. The standards were notified by MOEF subsequent to the issuance of the consent to establish. Issue consent to operate. 

	16
	35842  
	03-12-10
	SOHAL INDUSTRY
	PLOT NO.72, PKT-B,SEC-2, DSIDC BAWANA INDUSTRIAL AREA
	Bawana Industrial Area
	Orange Operate
	Manufacturing of Wood Working saw blades, carpentry and masonry hand tools and plastic moulding job works.
	 
	03-02-2011 : CTE ---- yes 26.09.2006 Water Consumption ---- 135 liters/day Ground Water ---- 0 liters/day Built Up Area ---- 150 (in sq. meter) Cetp Membership ---- Not Applicable Date of commissioning of project ---- sep 2006 Waste Water generation Domestic Effluent ---- 55 liters/day Trade Effluent ---- 0 liters/day ETP / STP ---- no Test Report(Water) within Limit ---- N/A Test Report(Air) within Limit ---- N/A NMR Sumitted ---- N/A
	Inspection be conducted to ascertain the heat treatment process.
	Inspection be conducted to ascertain the heat treatment process.

	17
	35844  
	06-12-10
	UMESH WIRE INDUSTRIES
	B-31,SECOR-4,BAWANA INDUSTRIAL AREA
	Bawana Industrial Area
	Orange Operate
	Mfg. of Plastic Granules and PVC Wire and Cable W/o Trade Effluent.
	 
	03-02-2011 : CTE ---- yes 19.11.2009 Water Consumption ---- 1300 liters/day Ground Water ---- 0 liters/day Built Up Area ---- 90 (in sq. meter) Cetp Membership ---- Not Applicable Date of commissioning of project ----sep 2009 Waste Water generation Domestic Effluent ---- 800 liters/day Trade Effluent ---- 0 liters/day ETP / STP ---- No Test Report(Water) within Limit ---- N/A Test Report(Air) within Limit ---- N/A NMR Sumitted ---- N/A
	Recommended for grant of consent to operate with the condition to provide hood & suction arrangement followed by a duct raised well above the roof levels (at least 2.0 meter above roof level) to channelize the process emissions and submit an compliance report on an affidavit within 06 months.
	Issue consent to operate without use of plastic scrap with the condition to provide hood & suction arrangement followed by a duct raised well above the roof levels (at least 2.0 meter above roof level) to channelize the process emissions and submit an compliance report on an affidavit within 06 months.

	18
	35850  
	06-12-10
	NEETAS CREATIONS
	D-5/2, PHASE-II, OKHLA INDUSTRIAL AREA
	Okhla Industrial Area
	Orange Operate
	Readymade Garments (with washing)
	 
	11-01-2011 : EARLIER CMC DECISIONS 136th Issue consent to operate. Subsequently, inspection be conducted for dyeing activity. 149th Issue SCN for revocation of consent and SCN u/s 31(A) of the Air Act and u/s 33 (A) of the Water Act for closure of the unit. Inform to DJB regarding ground water extraction. 156th Decision taken on file ratified REMARKS CTE : issued on 01.12.06 Water Consumption : 1000 Lt/d Waste Water generation : (a) Domestic effluent: 200 Lt/d (b) Trade effluent: 800 Lt/d Date of Commissioning:1999 ETP : installed Test Report (Water) within limit : No (Because test report submitted dated 2008) Test Report (Air) within limit : No (Because test report submitted dated 2008) NMR submitted: No (Because NMR submitted dated 2008) G W: Nil D G set : 110 Kva Test report, SMR and NMR submitted dated 2008 Adequacy report submitted dated October 2007 CTE issued on 01.12.06 vide CNO 17714. CTO issued valid upto 26.01.12 vide CNO 23258.
	Ask the unit to submit effluent analysis report of ETP, stack monitoring report and noise monitoring report  from approved laboratory of DPCC. Inspection may also be conducted.
	Ask the unit to submit effluent analysis report of ETP, stack monitoring report and noise monitoring report  from approved laboratory of DPCC. Inspection may also be conducted.

	19
	35853  
	06-12-10
	BUSH HARDWARE COLLECTIONS PVT. LTD
	159, FIE, PATPARGANJ INDUSTRIAL AREA
	Patparganj Industrial Area
	Orange Operate
	Mfg. of Bathroom Fittings and hardware goods with buffing and electroplating.
	 
	03-02-2011 : CTE ---- Yes, valid upto10.06.2011. Water Consumption ---- 1450 liters/day Ground Water ---- 0 liters/day Built Up Area ---- 450 (in sq. meter) Cetp Membership ---- Not Applicable Date of commissioning of project ---- April 2009. Waste Water generation Domestic Effluent ---- 200 liters/day Trade Effluent ---- 1000 liters/day ETP / STP ---- Yes. Test Report(Water) within Limit ---- Yes. Test Report(Air) within Limit ---- Yes. SMR:Yes D.G.Set:3 each 62.5 KVA. NMR Sumitted ---- Yes.(28.09.2010)
	Recommended for grant of consent to operate and authorization under HWM Rules.
	Issue consent to operate and authorization under HWM Rules.

	20
	35854  
	06-12-10
	REECHO CAPS
	D-44, GTK, S.M.A INDUSTRIAL AREA
	S.M.A Industrial Area
	Orange Operate
	CROWN CAPS AND OFFSET PRINTING.
	 
	10-02-2011 : CTE ---- CTE applied on 06.12.2010 with Id. No. 35855. Water Consumption ---- 250 liters/day Ground Water ---- 0 liters/day Built Up Area ---- 480 (in sq. meter) CETP Membership ---- North West Industrial Federation CETP Society Date of commissioning of project ---- 01-01-1989 Waste Water generation Domestic Effluent ---- 100 liters/day Trade Effluent ---- 0 liters/day ETP / STP ---- N/A Test Report(Water) within Limit ---- N/A Test Report(Air) within Limit ---- N/A NMR Sumitted ---- Yes
	Issue SCN for refusal of consent in view of the removal of the stack without elaborating the measures taken for process emissions for which the stack was provided earlier.
	Issue SCN for refusal of consent in view of the removal of the stack without elaborating the measures taken for process emissions for which the stack was provided earlier.

	21
	35857  
	06-12-10
	MAHESH KUMAR
	C-42/1, LAWRENCE ROAD INDUSTRIAL AREA
	Lawrence Road Industrial Area
	Orange Operate
	MFG. OF PVC ITEMS.
	 
	10-02-2011 : CTE ---- CTE issued on 18.06.2010 and valid upto 17.06.2011 Vide C.No. 24408. Water Consumption ---- 200 liters/day Ground Water ---- 0 liters/day Built Up Area ---- 209 (in sq. meter) CETP Membership ---- Keshav Puram Industrial Area CETP Society / Membership No ---- 294 Date of commissioning of project ---- 01.08.2009 Waste Water generation Domestic Effluent ---- 100 liters/day Trade Effluent ---- 0 liters/day ETP / STP ---- N/A Test Report(Water) within Limit ---- N/A Test Report(Air) within Limit ---- N/A NMR Sumitted ---- N/A
	Recommended for grant of consent to operate with the condition to provide hood & suction arrangement followed by a duct raised well above the roof levels (at least 2.0 meter above roof level) to channelize the process emissions and submit an compliance report on an affidavit within 06 months.
	Issue consent to operate with the condition to provide hood & suction arrangement followed by a duct raised well above the roof levels (at least 2.0 meter above roof level) to channelize the process emissions and submit an compliance report on an affidavit within 06 months.

	22
	35859  
	07-12-10
	SHREE S.L. PARKASHAN ARORBANS PRESS
	A-5 ,PH-I, MAYAPURI INDUSTRIAL AREA
	Mayapuri Industrial Area
	Orange Renewal
	PRINTING PRESS
	 
	08-02-2011 : CTE ---- Water Consumption ---- 3600 liters/day Ground Water ---- 1600 liters/day Built Up Area ---- 1523 (in sq. meter) CETP Membership ---- Mayapuri Industrial Area CETP Society / Membership No ---- 10910 Date of commissioning of project ---- 1969 Waste Water generation Domestic Effluent ---- 2700 liters/day Trade Effluent ---- 0 liters/day ETP / STP ---- N/A Test Report(Water) within Limit ---- N/A Test Report(Air) within Limit ---- yes NMR Sumitted ---- yes D.G. Set of 125 KVA Remarks Earlier CTO_R issued valid upto 16.05.2010 under Green category for the activity of printing press.
	Recommended for grant of renewal of consent. Ask the unit to apply for fresh authorization under HWM Rules. Inform to DJB regarding ground water extraction. 
	Issue renewal of consent. Ask the unit to apply for fresh authorization under HWM Rules. Inform to DJB regarding ground water extraction. 

	23
	35862  
	07-12-10
	BATH CARE SAINTATION
	PLOT NO 1/429/19C, FRIENDS COLONY INDUSTRIAL AREA
	Friends Colony Industrial Area
	Orange Operate
	Manufacturing of Bath Room Fitting with Buffing unit.
	 
	03-02-2011 : CTE ----Granted valid upto 01.09.2005. also applied on 18.05.2009. Water Consumption ---- 300 liters/day Ground Water ---- 0 liters/day Built Up Area ---- 235 (in sq. meter) Cetp Membership ---- Friends Colony Industrial Area CETP Society / Membership No ---- 01-09 Date of commissioning of project ---- Oct 2009. Waste Water generation Domestic Effluent ---- 300 liters/day Trade Effluent ---- 0 liters/day ETP / STP ---- N/A Test Report(Water) within Limit ---- N/A ECS/SMR: YES. Test Report(Air) within Limit ---- YES. D.G.Set: 62.5 KVA NMR Sumitted ---- Yes( 15.11.2010.)
	Ask the unit to submit Bank Guarantee of Rs. 50,000 under Air Act valid for one year. If unit submits the Bank Guarantee, issue consent to operate.
	Ask the unit to submit Bank Guarantee of Rs. 50,000 under Air Act valid for one year and apply for fresh authorization under HWM Rules. If unit submits the bank guarantee, issue consent to operate.

	24
	35875  
	08-12-10
	KAMLESH KUMARI
	B-2472, DSIDC NARELA INDUSTRIAL AREA
	Narela Industrial Area
	Orange Operate
	MFG. OF PVC COMPOUND AND UPPERSHOE.
	 
	10-02-2011 : CTE ---- CTE applied on 03.12.2010 with Id. no. 35840. Water Consumption ---- 185 liters/day Ground Water ---- 0 liters/day Built Up Area ---- 100.0825 (in sq. meter) CETP Membership ---- Not Applicable Date of commissioning of project ---- 01-01-2001 Waste Water generation Domestic Effluent ---- 100 liters/day Trade Effluent ---- 0 liters/day ETP / STP ---- N/A Test Report(Water) within Limit ---- N/A Test Report(Air) within Limit ---- N/A NMR Sumitted ---- N/A
	Ask the unit to submit the fresh CA Certificate including the cost of land and building along with the balance consent fee as applicable on the basis of fresh CA Certificate. Enquiry Counter may be advised to  be careful in future. Also inspection may be conducted.
	Ask the unit to submit the fresh CA Certificate including the cost of land and building along with the balance consent fee as applicable on the basis of fresh CA Certificate. Enquiry Counter may be advised to  be careful in future. Also inspection may be conducted.

	25
	35877  
	08-12-10
	DIAMOND PLASTIC INDUSTRIES
	PLOT NO -J-168,POCKET-N,SECTOR-3,DSIDC,BAWANA INDUSTRIAL AREA
	Bawana Industrial Area
	Orange Operate
	Manufacturing of Electrical goods (Bulbs holder)
	 
	03-02-2011 : CTE ---- yes 19.11.2009 Water Consumption ---- 50 liters/day Ground Water ---- 0 liters/day Built Up Area ---- 100 (in sq. meter) Cetp Membership ---- Not Applicable Date of commissioning of project ---- Waste Water generation Domestic Effluent ---- 20 liters/day Trade Effluent ---- 0 liters/day Test Report(Water) within Limit ---- N/A Test Report(Air) within Limit ---- N/A NMR Sumitted ---- N/A
	Recommended for grant of consent to operate.
	Issue consent to operate.

	26
	35885  
	08-12-10
	JAY GARUD GAS STATION
	B-1, COMMUNITY CENTER, JANAKPURI
	WEST
	Orange Operate
	WASHING WITH SERVICE STATION
	 
	08-02-2011 : CTE :Applied on 18.08.2010 vide ID no 34891. Water Consumption ---- 4000 liters/day Ground Water ---- 0 liters/day Built Up Area ---- 1000 (in sq. meter) CETP Membership ---- N/A Date of commissioning of project: 3.08.2010 Waste Water generation Domestic Effluent ---- 300 liters/day Trade Effluent ---- 7000 liters/day ETP / STP : yes Test Report(Water) within Limit : adequacy report of ETP submitted dated 28.09.2010 Test Report(Air) within Limit ---- N/A NMR Sumitted ---- N/A ATR/Remarks: Decision on 25.11.2010 Inspection be conducted.
	Issue SCN u/s 5 of the EPA in view of deficiencies observed during inspection dated  03.01.2011.
	Issue SCN u/s 5 of the EPA in view of deficiencies observed during inspection dated  03.01.2011.

	27
	35893  
	09-12-10
	GARG TRADING CO.
	A-186,DSIDC NARELA INDUSTRIAL AREA
	Narela Industrial Area
	Orange Operate
	PRODUCTION OF CATTLE FEED / FODDER PROCESSING (WITHOUT TRADE EFFLUENT DISCHARGE).
	 
	10-02-2011 : Earlier CMC Decision: 19.08.2010 SCN u/s 21/22 of air act and 25/26 of water act. ATR Remarks: SCN was issued on 02.04.2010 CTE ---- CTE applied on 09.12.2010 with Id. No. 35892. Water Consumption ---- 200 liters/day Ground Water ---- 0 liters/day Built Up Area ---- 288 (in sq. meter) CETP Membership ---- Not Applicable Date of commissioning of project ---- 01.03.2010. Waste Water generation Domestic Effluent ---- 100 liters/day Trade Effluent ---- 0 liters/day ETP / STP ---- N/A Test Report(Water) within Limit ---- N/A Test Report(Air) within Limit ---- N/A NMR Sumitted ---- N/A
	Inspection be conducted.
	Inspection be conducted.

	28
	35895  
	09-12-10
	WRECKER JEANS & CASUALS
	179,F.I.E PATPARGANJ INDUSTRIAL AREA
	Patparganj Industrial Area
	Orange Operate
	Mfg. of Readymade Garments With Washing.
	 
	03-02-2011 : CTE -Applied on 09.12.2010. Water Consumption ---- 7000 liters/day Ground Water ---- 0 liters/day Built Up Area ---- 840 (in sq. meter) Cetp Membership ---- Not Applicable Date of commissioning of project :June 2010. Waste Water generation Domestic Effluent ---- 1000 liters/day Trade Effluent ---- 5000 liters/day ETP / STP ---- ETP (Physiochemical) Test Report(Water) within Limit ---- Yes Test Report(Air) within Limit ---- Yes. D.G.Set:62.5 KVA. NMR Sumitted ---- Yes(20.09.2010)
	Recommended for grant of consent to operate subject to the confirmation of the recommendation of grant of consent to establish of Scrutinizing Committee by CMC(Orange). 
	Issue consent to operate.

	29
	35898  
	09-12-10
	A. B. HOTELS LTD
	N.H. NO. 8, MAHIPALPUR
	SOUTH WEST
	Orange Renewal
	Five Star Hotel
	 
	08-02-2011 : CTE ---- Not applied Water Consumption ---- 450000 liters/day Ground Water ---- 0 liters/day Built Up Area ---- 21350 (in sq. meter) CETP Membership ---- N/A Date of commissioning of project ---- 1996 Waste Water generation Domestic Effluent ---- 250000 liters/day Trade Effluent ---- 150000 liters/day ETP--- yes, adequacy report submitted Test Report(Water) within Limit ---- Yes Test Report(Air) within Limit ---- Yes Test Report(Air) within Limit ---- Yes NMR Sumitted ---- submitted dated 22.09.2010 (4 nos. of D.G. Sets) SMR submitted dated 25.09.2010 (boiler with wet scrubber installed) ATR/Remarks Earliser CTO issued valid upto 14.09.2004. CTO_R issued twice valid upto 13.09.2010. Unit applied for renewal of authorization under HWM Rules on 24.02.2010 vide ID no 0028.
	Recommended for grant of renewal of consent and ask the unit to indicate the categories of the hazardous waste being generated as per Hazardous Wastes (Management, Handling and Transboundary Movement) Rules, 2008.
	Issue renewal of consent and ask the unit to indicate the categories of the hazardous waste being generated as per Hazardous Wastes (Management, Handling and Transboundary Movement) Rules, 2008.

	30
	35900  
	10-12-10
	M.H. FOOD PRODUCTS CO.
	H-1275, DSIDC, NARELA INDUSTRIAL AREA
	Narela Industrial Area
	Orange Operate
	DALL MILL.
	 
	24-02-2011 : CTE ---- CTE issued on 18.10.2010 and valid upto 17.10.2011 Vide C.No. 25807. Water Consumption ---- 300 liters/day Ground Water ---- 0 liters/day Built Up Area ---- 270 (in sq. meter) CETP Membership ---- Not Applicable Date of commissioning of project ---- 01.01.2009 Waste Water generation Domestic Effluent ---- 150 liters/day Trade Effluent ---- 0 liters/day ETP / STP ---- N/A Test Report(Water) within Limit ---- N/A Test Report(Air) within Limit ---- Yes NMR Sumitted ---- N/A
	Recommended for grant of consent to operate.
	Issue consent to operate.

	31
	35901  
	10-12-10
	GARG DALL & BESAN MILL
	C-37, LAWRENCE ROAD INDUSTRIAL AREA
	Lawrence Road Industrial Area
	Orange Renewal
	DALL MILL.
	 
	10-02-2011 : CTE ---- Not Applied. Water Consumption ---- 350 liters/day Ground Water ---- 0 liters/day Built Up Area ---- 380 (in sq. meter) CETP Membership ---- Keshav Puram Industrial Area CETP Society / Membership No ---- 291 Date of commissioning of project ---- 01.01.1971 Waste Water generation Domestic Effluent ---- 150 liters/day Trade Effluent ---- 0 liters/day ETP / STP ---- N/A Test Report(Water) within Limit ---- N/A Test Report(Air) within Limit ---- Yes NMR Sumitted ---- Yes
	Recommended for grant of renewal of consent. 
	Issue renewal of consent. 

	32
	35902  
	10-12-10
	SRI RAM FOOD INDUSTRIES
	B-44, LAWRENCE ROAD INDUSTRIAL AREA
	Lawrence Road Industrial Area
	Orange Renewal
	DALL MILL.
	 
	10-02-2011 : CTE ---- Not Applied. Water Consumption ---- 400 liters/day Ground Water ---- 0 liters/day Built Up Area ---- 300 (in sq. meter) CETP Membership ---- Keshav Puram Industrial Area CETP Society / Membership No ---- 286 Date of commissioning of project ---- 01.01.1999 Waste Water generation Domestic Effluent ---- 250 liters/day Trade Effluent ---- 0 liters/day ETP / STP ---- N/A Test Report(Water) within Limit ---- N/A Test Report(Air) within Limit ---- Yes NMR Sumitted ---- Yes
	Recommended for grant of renewal of consent. 
	Issue renewal of consent. 

	33
	35909  
	10-12-10
	JANEX
	X-2, PH-II,OKHLA INDUSTRIAL AREA
	Okhla Industrial Area
	Orange Renewal
	Mfg. AND EXPORT OF HANDICRAFT, JEWLLERIES ITEM WITH PLATING.
	 
	10-02-2011 : Earlier Committee Decision 122nd Issue consent to operate and authorization under HWM Rules. Call on 26.08.09. Remarks / Action Taken / ATR CTE : valid upto 06.11.07 Water Consumption : 1300 Lt/d Waste Water generation : (a) Domestic effluent: 200 Lt/d (b) Trade effluent: 800 Lt/d Date of Commissioning: 2006 ETP : installed Test Report (Water) within limit : yes Test Report (Air) within limit : N/a NMR submitted : submitted DG set: 62.5 KVA and NMR submitted on 27.09.10 Adequacy report of ETP submitted dated Augest 2007 and test report submitted dated 01.10.10. CTE & CTO issued valid upto 06.11.07 & 25.09.10 respectively. A complaint has been received in this office on 14.12.10 and 16.12.10 n inspection was carried out by DPCC officials on 12.01.11 and following were the observations:- 1 Unit found in operation 2 Unit having an ETP (batch type) and found in operational. 3 Unit is not fully comply with the provisions of HWM Rules 4 As reported, source of water is through tanker. SCN u/s 5 of EPA under HWM Rule issued to the unit on 07.02.11 and letter to apply for fresh authorization under HWM Rules issued to the unit on 07.02.11
	Ask the unit to submit an afidavit for rectification of the deficiencies along with the Bank Guarantee of Rs. 50,000 under HWM Rules valid for one year within 15 days, failing which, closure may be confirmed and authorization be cancelled. 
	Ask the unit to submit an afidavit for rectification of the deficiencies along with the Bank Guarantee of Rs. 50,000 under HWM Rules valid for one year within 15 days, failing which, closure may be confirmed and authorization be cancelled. 

	34
	35912  
	10-12-10
	NEETA KATHURIA
	31-A, DLF NAJAFGARH ROAD INDUSTRIAL AREA
	Najafgarh Road Industrial Area
	Orange Renewal
	MFG. OF CYCLE RIM WITH BUFFING POLISHING AND ELECTROPLATING
	 
	09-02-2011 : CTE ---- issued valid upto 05.02.2005. Water Consumption ---- 2700 liters/day Ground Water ---- 2500 liters/day Built Up Area ---- 822 (in sq. meter) CETP Membership ---- Kirti Nagar, DLF & Najafgarh Road Industrial Area CETP Society / Membership No ---- 1308 Date of commissioning of project ---- may, 2004 Waste Water generation Domestic Effluent ---- 150 liters/day Trade Effluent ---- 2310 liters/day ETP ---- adequacy report submitted Test Report(Water) within Limit ---- yes, report submitted dated 07.12.2010 Test Report(Air) within Limit ---- N/A NMR Sumitted ---- N/A ECS report of buffing section submitted on dec 2010. SMR of buffing unit with dust collector submitted dated 30.11.2010. Remarks: Earlier CTO issued valid upto 14.12.2007. CTO_R issued valid upto 14.12.2010 vide consent order no 20935. Authorization under HWM rules granted.
	Recommended for grant of renewal of consent. Ask the unit to apply for fresh authorization under HWM Rules. Inform to DJB regarding ground water extraction. 
	Issue renewal of consent. Ask the unit to apply for fresh authorization under HWM Rules. Inform to DJB regarding ground water extraction. 

	35
	35913  
	10-12-10
	BEHL BROTHERS
	PLOT NO.199, POCKET-I, SECTOR-2, DSIDC INDUSTRIAL COMPLEX, BAWANA INDUSTRIAL AREA
	Bawana Industrial Area
	Orange Operate
	mfg of corrugated boxes and printing press.
	 
	03-02-2011 : CTE ---- yes 14.12.2006 Water Consumption ---- 100 liters/day Ground Water ---- 0 liters/day Built Up Area ---- 120 (in sq. meter) Cetp Membership ---- Not Applicable Date of commissioning of project ---- 01-01-2007 Waste Water generation Domestic Effluent ---- 50 liters/day Trade Effluent ---- 0 liters/day ETP / STP ---- no Test Report(Water) within Limit ---- N/A Test Report(Air) within Limit ---- N/A NMR Sumitted ---- N/A
	Recommended for grant of consent to operate. Ask the unit to apply for fresh authorization under HWM Rules.
	Issue consent to operate. Ask the unit to apply for fresh authorization under HWM Rules.

	36
	35916  
	10-12-10
	WALKY FOOTWEARS
	I-2134,IST FLOOR,DISDC NARELA INDUSTRIAL AREA
	Narela Industrial Area
	Orange Operate
	MFG. OF PVC FOOTWEAR AND EVA FOOTWEAR.
	 
	10-02-2011 : Earlier CMC Decision: Competent authority 20.12.2010 issue closure direction u/s 33(A) of the water act, u/s 31(A) of the air act. ATR Remarks: Letter issued on 28.12.2010 Reply received on 04.01.2010. CTE ---- CTE applied on 10.12.2010 with Id. no. 35915. Water Consumption ---- 125 liters/day Ground Water ---- 0 liters/day Built Up Area ---- 200.07 (in sq. meter) CETP Membership ---- Not Applicable Date of commissioning of project ---- 01-07-2000 Waste Water generation Domestic Effluent ---- 60 liters/day Trade Effluent ---- 0 liters/day ETP / STP ---- N/A Test Report(Water) within Limit ---- N/A Test Report(Air) within Limit ---- N/A NMR Sumitted ---- N/A
	Consent be refused in view of the representation submitted by the unit. Surprise inspection be conducted.
	Consent be refused in view of the representation submitted by the unit. Surprise inspection be conducted.

	37
	35917  
	10-12-10
	SMT.SHASHI ENTERTAINMENTS PRIVATE LIMITED
	KHASRA NO.34/11(4-6),12(0-14),35/15(0-12) VILLAGE NANGLI POONA DELHI-110036
	NORTH WEST
	Orange Operate
	MOTEL/HOTEL.
	 
	23-02-2011 : CTE ---- CTE issued on 18.06.2010 and valid upto 17.06.2011 Vide C.No. 24463. Water Consumption ---- 29000 liters/day Ground Water ---- 29000 liters/day Built Up Area ---- 400 (in sq. meter) CETP Membership ---- N/A Date of commissioning of project ---- 01.03.2010 Waste Water generation Domestic Effluent ---- 1000 liters/day Trade Effluent ---- 25000 liters/day ETP / STP ---- Yes Test Report(Water) within Limit ---- Yes Test Report(Air) within Limit ---- N/A NMR Sumitted ---- Yes NMR Sumitted ---- Yes NMR Sumitted ---- Yes
	Issue SCN for refusal of consent in view of non submission of stack monitoring report and in complete parameters in the effluent analysis report. Inform to DJB regarding ground water extraction. 
	Issue SCN for refusal of consent in view of non submission of stack monitoring report and in complete parameters in the effluent analysis report. Inform to DJB regarding ground water extraction. 

	38
	35921  
	13-12-10
	RAHUL OFFSET PRINTERS
	T-4/59, PHASE-I, MANGOLPURI INDUSTRIAL AREA
	Mangolpuri Industrial Area
	Orange Operate
	PRINTING OF CARD BOARD AND DUPLEX.
	 
	10-02-2011 : ATR Remarks: consent issued on 23.12.2009 reply received to correct the name of unit. CTE ---- CTE issued on 15.12.2009 and valid upto 14.12.2010 vide C.No. 22320. Water Consumption ---- 500 liters/day Ground Water ---- 0 liters/day Built Up Area ---- 150 (in sq. meter) CETP Membership ---- Mangolpuri Industrial Area Phase - I & II CETP Society / Membership No ---- 1494 Date of commissioning of project ---- 01.01.2007. Waste Water generation Domestic Effluent ---- 0 liters/day Trade Effluent ---- 0 liters/day ETP / STP ---- N/A Test Report(Water) within Limit ---- N/A Test Report(Air) within Limit ---- N/A NMR Sumitted ---- N/A
	Recommended for grant of consent to operate and authorization under HWM Rules.
	Issue consent to operate and authorization under HWM Rules.

	39
	35924  
	13-12-10
	UNA & COMPANY
	A-64/5, G.T. KARNAL ROAD INDUSTRIAL AREA
	G.T. Karnal Road Industrial Area
	Orange Renewal
	MFG. OF AUTO PARTS OF SHEET METAL AND PLASTIC.
	 
	10-02-2011 : CTE ---- Not Applied. Water Consumption ---- 200 liters/day Ground Water ---- 200 liters/day Built Up Area ---- 270 (in sq. meter) CETP Membership ---- G.T. Karnal Road Industrial Estate CETP Society / Membership No ---- 2182 Date of commissioning of project ---- 01.01.2002. Waste Water generation Domestic Effluent ---- 50 liters/day Trade Effluent ---- 0 liters/day ETP / STP ---- N/A Test Report(Water) within Limit ---- N/A Test Report(Air) within Limit ---- N/A NMR Sumitted ---- Yes
	Recommended for grant of renewal of consent with the condition to provide hood & suction arrangement followed by a duct raised well above the roof levels (at least 2.0 meter above roof level) to channelize the process emissions and submit an compliance report on an affidavit within 06 months. Inform to DJB regarding ground water extraction. 
	Issue renewal of consent with the condition to provide hood & suction arrangement followed by a duct raised well above the roof levels (at least 2.0 meter above roof level) to channelize the process emissions and submit an compliance report on an affidavit within 06 months. Inform to DJB regarding ground water extraction. 

	40
	35925  
	13-12-10
	RANA MOTORS PVT LTD
	B-26, OKHLA INDUSTRIAL AREA, PHASE - II
	Okhla Industrial Area
	Orange Renewal
	SERVICE, REPAIR AND MAINTENANCE OF CARS.
	 
	26-01-2011 : Earlier Committee Decision 116th Ask the unit to correct the deficienies noted by SIT during the inspection and confirm on affidavit. Call on 08.07.09 Remarks CTE : not applied Water Consumption : 8800 Lt/d Waste Water generation : (a) Domestic effluent: 700 Lt/d (b) Trade effluent: 8000 Lt/d Date of Commissioning: 2001 ETP : installed Test Report (Water) within limit : yes Test Report (Air) within limit : N/a NMR submitted : submitted DG set: 125 KVA and NMR submitted on 06.12.10 Adequacy report of ETP submitted dated December 2007 and test report submitted dated 06.12.10. CTR issued on 29.10.04 vide CNO 12045. CTR applied on 20.12.07 vide ID 24560. Authorization under HWM Rule (Renewal) applied on 28.04.10 vide ID 0104. unit submitted its Annual return under HWM Rule 9(2) on 19.01.11
	Recommended for grant of renewal of consent and authorization under HWM Rules. Inform to DJB regarding ground water extraction. 
	Issue renewal of consent and authorization under HWM Rules. Inform to DJB regarding ground water extraction. 

	41
	35926  
	13-12-10
	ANKIT TRADING CORPORATION
	A-34, WAZIRPUR INDUSTRIAL AREA
	Wazirpur Industrial Area
	Orange Operate
	MFG. OF S.S. UTENSILS WITH BUFFING.
	 
	10-02-2011 : CTE ---- CTE issued on 15.12.2009 and valid upto 14.12.2010 Vide C.No. 22328. Water Consumption ---- 50 liters/day Ground Water ---- 0 liters/day Built Up Area ---- 146.32 (in sq. meter) CETP Membership ---- Wazirpur Industrial Pollution Control Co. / Membership No ---- 942 Date of commissioning of project ---- 01.01.2010 Waste Water generation Domestic Effluent ---- 20 liters/day Trade Effluent ---- 0 liters/day ETP / STP ---- N/A Test Report(Water) within Limit ---- N/A Test Report(Air) within Limit ---- Yes NMR Sumitted ---- N/A
	Recommended for grant of consent to operate.
	Issue consent to operate.

	42
	35928  
	13-12-10
	SHIV GANGA POLYPET PVT. LTD
	PLOT NO.-C41, PVT POLYPET PVT. LTD
	Wazirpur Industrial Area
	Orange Operate
	MFG. OF PLASTIC MOULDED PRODUCTS(INJECTION MOULDING MACHINE) W/O TRADE EFFLUENT.
	 
	10-02-2011 : CTE ---- CTE issued on 15.12.2009 and valid upto 14.12.2010 Vide C.No. 22307. Water Consumption ---- 800 liters/day Ground Water ---- 0 liters/day Built Up Area ---- 221 (in sq. meter) CETP Membership ---- Wazirpur Industrial Pollution Control Co. / Membership No ---- 1069 Date of commissioning of project ---- 01.03.2008. Waste Water generation Domestic Effluent ---- 200 liters/day Trade Effluent ---- 0 liters/day ETP / STP ---- N/A Test Report(Water) within Limit ---- N/A Test Report(Air) within Limit ---- N/A NMR Sumitted ---- N/A
	Recommended for grant of consent to operate with the condition to provide hood & suction arrangement followed by a duct raised well above the roof levels (at least 2.0 meter above roof level) to channelize the process emissions and submit an compliance report on an affidavit within 06 months.
	Issue consent to operate without use of plastic scrap with the condition to provide hood & suction arrangement followed by a duct raised well above the roof levels (at least 2.0 meter above roof level) to channelize the process emissions and submit an compliance report on an affidavit within 06 months.

	43
	35935  
	14-12-10
	SIGNET GARMENTS (P) LTD.
	D2/4, PH-II, OKHLA INDUSTRIAL AREA
	Okhla Industrial Area
	Orange Renewal
	MANUFACTURING OF READYMADE GARMENTS WITH WASHING.
	 
	07-01-2011 : Earlier Committee Decision 12.02.10/ 15.02.10 Issue SCN for closure. 30.07.10 Consent refused and issue closure directions. 154th Decision taken on file ratified. Revoke closure directions. Remarks / Action Taken / ATR CTE : valid upto 09.01.06 Water Consumption : 11000 Lt/d Waste Water generation : (a) Domestic effluent: 750 Lt/d (b) Trade effluent: 9000 Lt/d Date of Commissioning: 2006 ETP : installed Test Report (Water) within limit : yes Test Report (Air) within limit : yes NMR submitted : submitted DG set : 125 KVA and NMR submitted dated 12.12.10. Adequacy report of ETP submitted dated Maly 2010 and test report submitted dated 12.12.10. SMR of baby boiler submitted dated 12.12.10 CTE issued valid upto 09.01.06 vide CNO 12288. CTO issued valid upto 12.06.09 vide CNO 16286. CTR refused on 15.09.10 refusal no 2024.
	Recommended for grant of renewal of consent. Inform to DJB regarding ground water extraction. 
	Issue renewal of consent. Inform to DJB regarding ground water extraction. 

	44
	35943  
	14-12-10
	JAGDAMBA ENTERPRISES
	PLOT NO-19/240, SHAHZADA BAGH INDUSTRIAL AREA
	Shahzada Bagh Industrial Area
	Orange Operate
	Mfg. of Plastic Moulded goods with injection Moulding Machine.
	 
	03-02-2011 : CTE ---- yes issued on 5.7.2010 Water Consumption ---- 400 liters/day Ground Water ---- 0 liters/day Built Up Area ---- 99.92 (in sq. meter) Cetp Membership ---- Not Applicable Date of commissioning of project ---- Waste Water generation Domestic Effluent ---- 240 liters/day Trade Effluent ---- 0 liters/day Test Report(Water) within Limit ---- N/A Test Report(Air) within Limit ---- N/A NMR Sumitted ---- N/A
	Recommended for grant of consent to operate with the condition to provide hood & suction arrangement followed by a duct raised well above the roof levels (at least 2.0 meter above roof level) to channelize the process emissions and submit an compliance report on an affidavit within 06 months.
	Issue consent to operate without use of plastic scrap with the condition to provide hood & suction arrangement followed by a duct raised well above the roof levels (at least 2.0 meter above roof level) to channelize the process emissions and submit an compliance report on an affidavit within 06 months.

	45
	35944  
	14-12-10
	SAMMA DYEING
	J-3210, DSIDC NARELA INDUSTRIAL AREA
	Narela Industrial Area
	Orange Operate
	MFG. OF PVC INSULATED WIRE AND CABLES.
	 
	10-02-2011 : CTE ---- CTE issued on15.12.2009 and valid upto 14.12.2010 Vide C.No. 22363. Water Consumption ---- 250 liters/day Ground Water ---- 0 liters/day Built Up Area ---- 100 (in sq. meter) CETP Membership ---- Not Applicable Date of commissioning of project ---- 01.01.2009. Waste Water generation Domestic Effluent ---- 200 liters/day Trade Effluent ---- 0 liters/day ETP / STP ---- N/A Test Report(Water) within Limit ---- N/A Test Report(Air) within Limit ---- N/A NMR Sumitted ---- N/A
	Recommended for grant of consent to operate with the condition to provide hood & suction arrangement followed by a duct raised well above the roof levels (at least 2.0 meter above roof level) to channelize the process emissions and submit an compliance report on an affidavit within 06 months.
	Issue consent to operate without use of plastic scrap with the condition to provide hood & suction arrangement followed by a duct raised well above the roof levels (at least 2.0 meter above roof level) to channelize the process emissions and submit an compliance report on an affidavit within 06 months.

	46
	35947  
	14-12-10
	RAMA BAKELITE INDUSTRIES
	PLOT NO-109, POCKET E SECTOR-2, DSIDC, BAWANA INDUSTRIAL AREA
	Bawana Industrial Area
	Orange Operate
	Manufacturing of Electricals Goods.
	 
	03-02-2011 : CTE ---- yes issued on 4.12.2009 Water Consumption ---- 40liters/day Ground Water ---- 0 liters/day Built Up Area ---- 100 (in sq. meter) Cetp Membership ---- Not Applicable Date of commissioning of project ---- 2007 Waste Water generation Domestic Effluent ---- 25 liters/day Trade Effluent ---- 0 liters/day Test Report(Water) within Limit ---- N/A Test Report(Air) within Limit ---- N/A NMR Sumitted ---- N/A
	Recommended for grant of consent to operate.
	Issue consent to operate.

	47
	35948  
	14-12-10
	GURUDWARA HARGOBINDSAR SAHIB
	G.T. ROAD, KARNAL ROAD, NANGLI POONA
	NORTH WEST
	Orange Operate
	A PARTY LAWN FOR SOCIAL FUNCTIONS.
	 
	23-02-2011 : CTE ---- CTE applied on 21.10.2010 Vide Id.No. 35450. Water Consumption ---- 5200 liters/day Ground Water ---- 5000 liters/day Built Up Area ---- 400 (in sq. meter) CETP Membership ---- N/A Date of commissioning of project ---- 01.05.2010. Waste Water generation Domestic Effluent ---- 200 liters/day Trade Effluent ---- 5000 liters/day ETP / STP ---- Yes Test Report(Water) within Limit ---- Yes Test Report(Air) within Limit ---- N/A NMR Sumitted ---- Yes NMR Sumitted---- Yes
	Implement the CMC(Orange) decision dated 21.01.2011. Inform to DJB regarding ground water extraction. 
	Implement the CMC(Orange) decision dated 21.01.2011 seeking clarification. Inform to DJB regarding ground water extraction. 

	48
	35952  
	15-12-10
	ORIENT FASHIONS EXPORT INDIA (P) LTD
	E-45/14, PH-II, OKHLA INDUSTRIAL AREA
	Okhla Industrial Area
	Orange Operate
	Mfg. of Readymade garments (W/o Washing) with Embroidery and sampling.
	 
	28-12-2010 : REMARK CTE : applied on 15.12.2010 with ID 35951 Water Consumption : 500 Lt/d Waste Water generation : (a) Domestic effluent: 450 Lt/d (b) Trade effluent: Nil Date of Commissioning: Jan 2010 ETP : N/A Test Report (Water) within limit : N/A Test Report (Air) within limit : N/A NMR submitted : No CTE applied on 15.12.2010 with ID 35951
	Recommended for grant of consent to operate subject to the confirmation of the recommendation of grant of consent to establish of Scrutinizing Committee by CMC(Orange). 
	Issue consent to operate.

	49
	35953  
	15-12-10
	MAGIC AUTO PVT. LTD.
	B-7, GTK ROAD INDUSTRIAL AREA
	G.T. Karnal Road Industrial Area
	Orange Operate
	CAR SERVICE CENTRE WITH WASHING.
	 
	10-02-2011 : Earlier CMC Decision: 06.09.2010 inspection be conducted. ATR Remarks: 26.10.2010 Inspection was carried out. On the basis of findings, SCN u/s 33(A) of water act and 5 EPA act issued to unit on 23.12.2010 reply received on 03.01.2011 CTE ---- CTE issued on 18.10.2010 and valid upto 17.10.2011 Vide C.No. 25803. Water Consumption ---- 4500 liters/day Ground Water ---- 4050 liters/day Built Up Area ---- 418 (in sq. meter) CETP Membership ---- G.T. Karnal Road Industrial Estate CETP Society Date of commissioning of project ---- 01.08.2010 Waste Water generation Domestic Effluent ---- 450 liters/day Trade Effluent ---- 4050 liters/day ETP / STP ---- Yes Test Report(Water) within Limit ---- Yes Test Report(Air) within Limit ---- N/A NMR Sumitted ---- N/A
	Ask the unit to submit Bank Guarantee of Rs. 50,000 each under Water Act and HWM Rules valid for one year. If unit submits, the bank guarantee, issue consent to operate and authorization under HWM Rules. Inform to DJB regarding ground water extraction. 
	Ask the unit to submit Bank Guarantee of Rs. 50,000 each under Water Act and HWM Rules valid for one year. If unit submits, the bank guarantee, issue consent to operate and authorization under HWM Rules. Inform to DJB regarding ground water extraction. 

	50
	35954  
	15-12-10
	SEA BIRD REFRIGARATION PVT LTD.
	282, PATPARGANJ INDUSTRIAL AREA
	Patparganj Industrial Area
	Orange Operate
	Mfg. of Refrigeration Machinery and parts with phosphating and painting.
	 
	04-02-2011 : Direction for closure has been issued on10.11.2010 in view of CWG-XIX- 2010. CTE ----Applied on 01.12.2010. Again applied on 01.12.2010. Water Consumption ---- 1000 liters/day Ground Water ---- 0 liters/day Built Up Area ---- 687 (in sq. meter) Cetp Membership ---- Not Applicable Date of commissioning of project ----April 1997. Waste Water generation Domestic Effluent ---- 450 liters/day Trade Effluent ---- 450 liters/day ETP / STP ---- Yes. Test Report(Water) within Limit --Yes. Test Report(Air) within Limit ---- N/A D.G.Set: 62.5 KVA. NMR Sumitted ---- Yes.(10.12.2010)
	Recommended for grant of consent to operate and authorization under HWM Rules subject to the confirmation of the recommendation of grant of consent to establish of Scrutinizing Committee by CMC(Orange). 
	Issue consent to operate and authorization under HWM Rules.

	51
	35955  
	15-12-10
	NATIONAL GLASS FACTORY
	WZ-3, DLF MOTI NAGAR INDUSRIAL AREA, BASAI DARA PUR ROAD
	Moti Nagar DLF Industrial Area
	Orange Operate
	MFG OF PVC CABLES AND WIRES
	 
	10-02-2011 : CTE: Applied on 21.06.2010 vide ID no 34293. Water Consumption ---- 200 liters/day Ground Water ---- 0 liters/day Built Up Area ---- 135 (in sq. meter) CETP Membership ---- DSIDC Industrial Estate, Nangloi & Udyog Nagar Industrial Area CETP Society / Membership No ---- 2115 Date of commissioning of project : 05.07.2010 Waste Water generation Domestic Effluent ---- 100 liters/day Trade Effluent ---- 0 liters/day ETP / STP ---- N/A Test Report(Water) within Limit ---- N/A Test Report(Air) within Limit ---- N/A NMR Sumitted ---- N/A Earlier CMC Decision on 30.07.2010 File be put up administratively. now case will refer to the PGRC legal cell.
	Case be shifted to PGRC as CTE application has been transferred to PGRC as the decision on the consent is to be taken along with the cases of redevelopment areas.
	Shift the case to PGRC as CTE application has been transferred to PGRC as the decision on the consent is to be taken along with the cases of redevelopment areas.

	52
	35956  
	15-12-10
	ADARSH CABLE INDUSTRIES
	WZ-3, DLF,MOTI NAGAR INDUSTRIAL AREA
	Moti Nagar DLF Industrial Area
	Orange Operate
	MFG OF PVC CABLES AND WIRES
	 
	10-02-2011 : CTE : Applied on 21.06.2010 vide ID no 34292. Water Consumption ---- 200 liters/day Ground Water ---- 0 liters/day Built Up Area ---- 130 (in sq. meter) CETP Membership ---- DSIDC Industrial Estate, Nangloi & Udyog Nagar Industrial Area CETP Society / Membership No ---- 1996 Date of commissioning of project : 05.07.2010. Waste Water generation Domestic Effluent ---- 160 liters/day Trade Effluent ---- 0 liters/day ETP / STP ---- N/A Test Report(Water) within Limit ---- N/A Test Report(Air) within Limit ---- N/A NMR Sumitted ---- Yes,submitted on 03.12.2010. ATR/Remarks: Applied for CTO on 06.07.2002 vide ID no 0371 and samw was refused on 13.10.2003 refused no 820. Earlier CMC Decision on 30.07.2010 File be put up administratively. now case will refer to the PGRC legal cell.
	Case be shifted to PGRC as CTE application has been transferred to PGRC as the decision on the consent is to be taken along with the cases of redevelopment areas.
	Shift the case to PGRC as CTE application has been transferred to PGRC as the decision on the consent is to be taken along with the cases of redevelopment areas.

	53
	35958  
	15-12-10
	TARUN UDYOG
	A-3, GROUP, WAZIRPUR INDUSTRIAL AREA
	Wazirpur Industrial Area
	Orange Operate
	CIRCLE CUTTING MFG. OF S.S. UTENSILS WITH BUFFING.
	 
	10-02-2011 : Earlier CMC Decision: 25.11.2010 Issue consent to establish. Inspection is not required as inspection has already been done. ATR remarks: CTE ---- CTE issued on 18.01.2011 and valid upto 17.01.2010 Vide C.No. 26489. Water Consumption ---- 40 liters/day Ground Water ---- 0 liters/day Built Up Area ---- 100 (in sq. meter) CETP Membership ---- Wazirpur Industrial Pollution Control Co. / Membership No ---- 933 Date of commissioning of project ---- 01.09.2010 Waste Water generation Domestic Effluent ---- 30 liters/day Trade Effluent ---- 0 liters/day ETP / STP ---- N/A Test Report(Water) within Limit ---- N/A Test Report(Air) within Limit ---- Yes NMR Sumitted ---- N/A
	Recommended for grant of consent to operate.
	Issue consent to operate.

	54
	35959  
	22-12-10
	BINDO CABLES
	PLOT NO 21/4 GALI NO 7,FRIENDS COLONY INDUSTRIAL AREA , SHAHDARA
	Friends Colony Industrial Area
	Orange Renewal
	Mfg. of PVC Compound and wires and Cables
	 
	03-02-2011 : CTE ---- Granted valid upto21.12.2004. Water Consumption ---- 200 liters/day Ground Water ---- 0 liters/day Built Up Area ---- 70 (in sq. meter) Cetp Membership ---- Jhilmil & Friends Colony Industrial Area CETP Society / Membership No ---- 001-09 Date of commissioning of project ---- Existing 2004. Waste Water generation Domestic Effluent ---- 50 liters/day Trade Effluent ---- 0 liters/day ETP / STP ---- N/A Test Report(Water) within Limit ---- N/A Test Report(Air) within Limit ---- N/A D.G.Set: Nil. NMR Sumitted ---- N/A
	Recommended for grant of renewal of consent with the condition to provide hood & suction arrangement followed by a duct raised well above the roof levels (at least 2.0 meter above roof level) to channelize the process emissions and submit an compliance report on an affidavit within 06 months.
	Issue renewal of consent for the activity of mfg of PVC granules and wire and cables without use of plastic scrap and with the condition to provide hood & suction arrangement followed by a duct raised well above the roof levels (at least 2.0 meter above roof level) to channelize the process emissions and submit an compliance report on an affidavit within 06 months.

	55
	35960  
	15-12-10
	YOGI CABLES
	PLOT NO 21/3, GALI NO 7,FRIENDS COLONY INDUSTRIAL AREA , SHAHDRA
	Friends Colony Industrial Area
	Orange Renewal
	Manufacturing of PVC Compound and Wire and Cable.
	 
	03-02-2011 : CTE ----Granted valid up to 21.12.2004. Water Consumption ---- 200 liters/day Ground Water ---- 0 liters/day Built Up Area ---- 70 (in sq. meter) Cetp Membership ---- Jhilmil & Friends Colony Industrial Area CETP Society / Membership No ---- 5106 Date of commissioning of project ---- April 2004. Waste Water generation Domestic Effluent ---- 50 liters/day Trade Effluent ---- 0 liters/day ETP / STP ---- N/A Test Report(Water) within Limit ---- N/A. Test Report(Air) within Limit ---- N/A D.G.Set:62 KVA NMR Sumitted ---- Yes (14.12.2010)
	Recommended for grant of renewal of consent with the condition to provide hood & suction arrangement followed by a duct raised well above the roof levels (at least 2.0 meter above roof level) to channelize the process emissions and submit an compliance report on an affidavit within 06 months.
	Issue renewal of consent for the activity of mfg of PVC granules and wire and cables without use of plastic scrap and with the condition to provide hood & suction arrangement followed by a duct raised well above the roof levels (at least 2.0 meter above roof level) to channelize the process emissions and submit an compliance report on an affidavit within 06 months.

	56
	35961  
	15-12-10
	JAKSONS DEVELOPERS PVT. LTD
	PLOT NO.-3B1, DISTRICT CENTER, SECTOR-10, ROHINI
	NORTH WEST
	Orange Operate
	HOTEL CUM COMMERCIAL COMPLEX.
	 
	22-02-2011 : Earlier CMC Decision: 05.08.2010 Issue reminder to take necessary action w.r.t. the proceedings of the meeting taken by MS, DPCC on 01.07.2010/02.07.2010 incorporating the decision of the Scrutinizing Committee. ATR Remarks: Letter issued on 21.09.2010. CTE ---- CTE issued on 18.12.2008 and valid upto 17.12.2009 Vide C.No. 19387. Water Consumption ---- 501000 liters/day Ground Water ---- 290000 liters/day Built Up Area ---- 49975 (in sq. meter) CETP Membership ---- N/A Date of commissioning of project ---- 01-04-2008 Waste Water generation Domestic Effluent ---- 181000 liters/day Trade Effluent ---- 121000 liters/day ETP / STP ---- N/A Test Report(Water) within Limit ---- Yes Test Report(Air) within Limit ---- N/A NMR Sumitted ---- Yes NMR Sumitted ---- Yes NMR Sumitted ---- Yes NMR Sumitted ---- Yes NMR Sumitted ---- Yes
	Ask the unit to submit stack monitoring report for D.G. Set of more than 1000 KVA, water mass balance chart to substantiate the compliance of environmental clearance's conditions no (i) in operational stage, effluent analysis report of treated waste water with complete parameters from approved laboratory of DPCC.  Inform to DJB regarding ground water extraction. 
	Ask the unit to submit stack monitoring report for D.G. Set of more than 1000 KVA, water mass balance chart to substantiate the compliance of environmental clearance's conditions no (i) in operational stage, effluent analysis report of treated waste water with complete parameters from approved laboratory of DPCC.  Inform to DJB regarding ground water extraction. 

	57
	35962  
	15-12-10
	MURTI PLASTIC INDUSTRY
	D-280, SECTOR-5, DSIDC BAWANA INDUSTRIAL AREA
	Bawana Industrial Area
	Orange Operate
	PVC and Plastic Products like footwear.
	 
	03-02-2011 : CTE ---- yes 27.10.2009 Water Consumption ---- 100 liters/day Ground Water ---- 0 liters/day Built Up Area ---- 250 (in sq. meter) Cetp Membership ---- Not Applicable Date of commissioning of project ---- oct 2009 Waste Water generation Domestic Effluent ---- 50 liters/day Trade Effluent ---- 0 liters/day ETP / STP ---- no Test Report(Water) within Limit ---- N/A Test Report(Air) within Limit ---- N/A NMR Sumitted ---- N/A
	Recommended for grant of consent to operate with the condition to provide hood & suction arrangement followed by a duct raised well above the roof levels (at least 2.0 meter above roof level) to channelize the process emissions and submit an compliance report on an affidavit within 06 months.
	Issue consent to operate without use of plastic scrap with the condition to provide hood & suction arrangement followed by a duct raised well above the roof levels (at least 2.0 meter above roof level) to channelize the process emissions and submit an compliance report on an affidavit within 06 months.

	58
	35963  
	15-12-10
	PRINCE OPTICAL WORKS
	B-102, G.T. KARNAL ROAD INDUSTRIAL AREA
	G.T. Karnal Road Industrial Area
	Orange Operate
	OPTICAL GLASSES AND SCIENTIFIC GLASSES.
	 
	10-02-2011 : Earlier CMC Decision: 07.10.2010 Consent refused and issue closure direction u/s 33(A) of the water act, u/s 31(A) of the air act and u/s 5 EPA to M/s Prince opticals works. Issue SCN u/s 21/22 of the air act and u/s 25/26 to water act to M/s ruchi enterprises. ATR remarks: SCN issued on 19.11.2010 reply received on 29.11.2010 Letter issued for submission of bank gaurntee on 27.12.2010. BG received on 29.12.2010 revokation of closure direction notice issued on 30.12.2010 CTE ---- CTE applied on 02.12.2010 with Id. No. 35807. Water Consumption ---- 700 liters/day Ground Water ---- 0 liters/day Built Up Area ---- 200 (in sq. meter) CETP Membership ---- G.T. Karnal Road Industrial Estate CETP Society / Membership No ---- 2223 Date of commissioning of project ---- Waste Water generation Domestic Effluent ---- 200 liters/day Trade Effluent ---- 0 liters/day ETP / STP ---- N/A Test Report(Water) within Limit ---- Yes Test Report(Air) within Limit ---- N/A NMR Sumitted ---- N/A
	Recommended for grant of consent to operate and ask the unit to indicate the categories of the hazardous waste being generated as per Hazardous Wastes (Management, Handling and Transboundary Movement) Rules, 2008.
	Issue consent to operate and ask the unit to indicate the categories of the hazardous waste being generated as per Hazardous Wastes (Management, Handling and Transboundary Movement) Rules, 2008.

	59
	35964  
	15-12-10
	ADYAR ANANDA BHAVAN SWEETS & SNACKS
	SHOP NO. S-18, MAIN ROAD GREEN PARK
	SOUTH
	Orange Operate
	Mfg. OF SWEETS AND SNACKS-RESTAURANT.
	 
	24-01-2011 : Earlier Committee Decision 21.12.2009/22.12.2209 Issue closure direction . 13.08.10 Ask the unit to submit bank guarantee of Rs. One lakh under the Water Act valid for one year REMARKS CTE : issued valid upto 26.10.2010 Water Consumption : 3000 Lt/d Waste Water generation : (a) Domestic effluent: 500 Lt/d (b) Trade effluent: 2000 Lt/d Date of Commissioning: April 2009 ETP : installed Test Report (Water) within limit : Yes Test Report (Air) within limit : N/A NMR submitted: No D G Set : 125 KVA and NMR not submitted. Adequacy Report dated August 2009 and Test report dated 29.11.2010 submitted CTE issued valid upto 26.10.2010 vide CNO 21637. Unit submitted NMR on 24.01.11. Letter issued to submit the bank guarantee on 29.09.10 Unit submitted bank guarantee on 11.11.10
	Recommended for revocation of closure directions as the unit has submitted the requisite Bank Guarantees. Recommended for consent to operate also. 
	Revoke closure directions as the unit has submitted the requisite Bank Guarantee and issue consent to operate.

	60
	35965  
	16-12-10
	SHRINIWAS TIN INDUSTRIES (P) LTD.
	C-122,NARAINA INDUSTRIAL AREA PHASE - I
	Naraina Industrial Area Phase - I
	Orange Operate
	MFG OF TIN CONTAINERS WITH PRINTING
	 
	08-02-2011 : CTE ---- issued valid upto 28.06.2011 vide consent order no 24533 Water Consumption ---- 1 kiloliters/day Ground Water ---- 0 liters/day Built Up Area ---- 1968 (in sq. meter) CETP Membership ---- Naraina Industrial Area CETP Society / Membership No ---- 1515 Date of commissioning of project ---- 1974 Waste Water generation Domestic Effluent ---- 1000 liters/day Trade Effluent ---- 0 liters/day ETP / STP ---- N/A Test Report(Water) within Limit ---- N/A Test Report(Air) within Limit ---- Yes Test Report(Air) within Limit ---- Yes NMR Sumitted ---- Yes (D.G. Set of 100 KVA) SMR submitted dated 22.11.2010. ATR/REMARKS Earlier CTO issued twice valid upto 09.01.2008 Applied for CTO_R on 16.11.2007 vide ID no 24221.
	Inspection be conducted.
	Inspection be conducted.

	61
	35966  
	16-12-10
	SEVEN SEAS COLR P. LTD.
	A-21/27, NARAINA INDUSTRIAL AREA PHASE - II
	Naraina Industrial Area Phase - II
	Orange Operate
	PRINTING
	 
	10-02-2011 : CTE Issued valid upto 22.12.2010 vide consent order no 22490. Water Consumption ---- 100 liters/day Ground Water ---- 0 liters/day Built Up Area ---- 120 (in sq. yards) CETP Membership ---- Naraina Industrial Area CETP Society / Membership No ---- 831 Date of commissioning of project :1992 Waste Water generation Domestic Effluent ---- 100 liters/day Trade Effluent ---- 0 liters/day ETP / STP ---- N/A Test Report(Water) within Limit ---- N/A Test Report(Air) within Limit ---- N/A NMR Sumitted ---- N/A ATR/Remarks: Applied for CTO on 10.07.2007 vide ID on 22274 and same was cancelled on 18.02.2008. Authorization under HWM Rules grant on 05.08.2004.
	Recommended for grant of consent to operate. Ask the unit to apply for fresh authorization under HWM Rules.
	Issue consent to operate. Ask the unit to apply for fresh authorization under HWM Rules.

	62
	35968  
	16-12-10
	RED FOX HOTEL (A UNIT OF ORIOLE DR. FRESH HOTELS PVT. LTD)
	PLOT NO-6, COMMUNITY CENTER, KONDLI
	EAST
	Orange Operate
	Hospitality
	 
	04-02-2011 : CTE -Granted, valid upto17.12.2009 Water Consumption ---- 75000 liters/day Ground Water ---- 0 liters/day Built Up Area ---- 7200 (in sq. meter) Cetp Membership ---- N/A Date of commissioning of project ---- 2010. Waste Water generation Domestic Effluent ---- 60000 liters/day(As per affidavit) Trade Effluent ---- 57600 liters/day(As per Application form). ETP / STP ----yes. Test Report(Water) within Limit:Yes. SMR:YES, 03.11.2010. Test Report(Air) within Limit:.Yes D.G.Set: (No-2), 250 KVA each. NMR Sumitted ---- Yes (02.11.2010)
	Ask the unit to submit the effluent analysis report with the complete parameters and itemwise compliance report of consent to establish on an affidavit.
	Ask the unit to submit the effluent analysis report with the complete parameters and itemwise compliance report of consent to establish on an affidavit.

	63
	35971  
	16-12-10
	ASHOKA PLASTIC INDUSTRIES
	A-273,DSIDC NARELA INDUSTRIAL AREA
	Narela Industrial Area
	Orange Operate
	MFG. OF PVC FOOTWEAR.
	 
	10-02-2011 : CTE ---- CTE applied on 16.12.2010 with Id. no. 35970. Water Consumption ---- 50 liters/day Ground Water ---- 0 liters/day Built Up Area ---- 210 (in sq. meter) CETP Membership ---- Not Applicable Date of commissioning of project ---- 01.05.2010. Waste Water generation Domestic Effluent ---- 20 liters/day Trade Effluent ---- 0 liters/day ETP / STP ---- N/A Test Report(Water) within Limit ---- N/A Test Report(Air) within Limit ---- N/A NMR Sumitted ---- N/A
	Recommended for grant of consent to operate, with the condition to provide hood & suction arrangement followed by a duct raised well above the roof levels (at least 2.0 meter above roof level) to channelize the process emissions and submit an compliance report on an affidavit within 06 months, subject to the confirmation of the recommendation of grant of consent to establish of Scrutinizing Committee by CMC(Orange). 
	Issue consent to operate without use of plastic scrap with the condition to provide hood & suction arrangement followed by a duct raised well above the roof levels (at least 2.0 meter above roof level) to channelize the process emissions and submit an compliance report on an affidavit within 06 months.

	64
	35973  
	16-12-10
	LAMBA STEEL & ALLOYS PVT LTD
	D-7/2, 3, PHASE-I, OKHLA INDUSTRIAL AREA
	Okhla Industrial Area
	Orange Operate
	MANUFACTURING OF ALUMINUM INGOTS THROUGH MELTING FURNACE UNIT.
	 
	31-01-2011 : EARLIER CMC DECISION 21.12.2009 / 22.12.2009 Inspection be conducted to ascertain the type of furnace. 16.04.2010 Issue SCN for refusal of consent and SCN for closure of the unit due to findings of the inspection including the prohibition of the activity as per MPD-2021. 13.08.10 Consent refused and issue closure directions. 155th Ask the unit to submit adequacy report from empanelled consultant and Bank Guarantee of Rs One Lakh under the Air Act valid for one year. If the unit submits the aforesaid documents, closure directions be revoked. REAMRK CTE : applied on 18.11.10 Water Consumption :110 Lt/d on application form and 100 Lt/d on affidavit. Waste Water generation : (a) Domestic effluent: 100 Lt/d (b) Trade effluent: Nil Date of Commissioning: Dec 2010 ETP : N/a Test Report (Water) within limit : N/a Test Report (Air) within limit : not submitted NMR submitted:N/a DG set : nil Unit have One melting furnace and Adequacy report of ESC submitted November 2010 but SMR not submitted. Unit menstioned in application form that SMR wlii be submitted whenever closure direction revoke CTE refused on 29.09.10 vide refusal no 2028. CTE again applied on 18.11.10 vide ID 35663. unit submitted Bank guarantee and copy of adequacy report of ECS on 20.01.11. Revokation of closure directions issued to the unit on 28.01.11.
	Wait till DDA clarification.
	Wait till DDA clarification.

	65
	35974  
	16-12-10
	PROMINENT HOTELS LTD
	37, SAHEED BAGHAT SINGH MARG
	CENTRAL
	Orange Renewal
	HOTEL (4 STAR).
	 
	10-02-2011 : Earlier CMC Decision: 21.01.2010 Inspection be conducted. If, there is no borewell as asserted in the reply of the hotel, issue renewal of consent. ATR Remarks: Inspectin conducted on 02.02.2010. CTE ---- CTE issued on 16.04.2009 and valid upto 15.11.2010 Vide C.No. 20189. Water Consumption ---- 90000 liters/day Ground Water ---- 0 liters/day Built Up Area ---- 1996.1 (in sq. meter) CETP Membership ---- N/A Date of commissioning of project ---- 01-01-1982 Waste Water generation Domestic Effluent ---- 8000 liters/day Trade Effluent ---- 27000 liters/day ETP / STP ---- N/A Test Report(Water) within Limit ---- No Test Report(Air) within Limit ---- Yes NMR Sumitted ---- Yes
	Ask the unit to raise the stack height of hot water generators atleast upto 11 meter above ground level and well above the roof, whichever is more. Inspection may also be conducted.
	Ask the unit to raise the stack height of hot water generators atleast upto 11 meter above ground level and well above the roof, whichever is more. Inspection may also be conducted.

	66
	35979  
	20-12-10
	MGF AUOTMOBILES LTD.
	B-91-92, PHASE-I, MAYAPURI INDL. AREA
	Mayapuri Industrial Area
	Orange Renewal
	SERVICE STATION
	 
	08-02-2011 : CTE ---- Not applied Water Consumption ---- 10800 liters/day Ground Water ---- 0 liters/day Built Up Area ---- 1900 (in sq. meter) CETP Membership ---- Mayapuri Industrial Area CETP Society / Membership No ---- 11452 Date of commissioning of project ---- 1999 Waste Water generation Domestic Effluent ---- 680 liters/day Trade Effluent ---- 10000 liters/day ETP ---- Adequacy report submitted Test Report(Water) within Limit ---- Yes Test Report(Air) within Limit ---- yes NMR Sumitted ---- Yes, dated 27.10.2010 (D.G. Set of 62.5 KVA) Remarks: CTO_R issued valid upto 17.10.2007 vide consent order no 12167. Applied for CTO_R on 09.10.2007 vide ID no 23816. Applied for renewal of authorization on 20.12.2010 vide ID no 0561.
	Recommended for grant of renewal of consent and authorization under HWM Rules.
	Issue renewal of consent and authorization under HWM Rules.

	67
	35982  
	20-12-10
	MELLCON ENGINEERS (P) LTD.
	B-297, PHASE-I, OKHLA INDUSTRIAL AREA
	Okhla Industrial Area
	Orange Renewal
	MANUFACTURING OF COMPRESSED AIR DRYER.
	 
	04-01-2011 : Earlier Decisions 09.04.2009 Ask the unit to submit affidavit for source of water supply. Call on 19.05.2009. 15.06.09. Issue Consent to Establish and renewal of consent. Call on 12.08.2009 REMARKS CTE : issued on 03.07.09 Water Consumption : 1000 Lt/d Waste Water generation : (a) Domestic effluent: 800 Lt/d (b) Trade effluent: Nil Date of Commissioning: 1992 ETP : N/a Test Report (Water) within limit : N/a Test Report (Air) within limit : N/a NMR submitted : submitted D G set : 125 Kva and NMR submitted dated 12.10.2010 G W :Nil CTE issued valid upto 02.07.10 vide CNO 20815. CTO issued valid upto 31.07.05 vide CNO 5932. CTR issued valid upto 05.06.10 vide CNO 20816. CTE issued on 03.07.09 and valid upto 02.07.10 vide CNO 20815.
	Inspection be conducted in view of negative list as per MPD-2021.
	Inspection be conducted in view of negative list as per MPD-2021.

	68
	35985  
	20-12-10
	BATRA PLASTIC INDUSTRIES
	PLOT NO.-B-46, G. T. K. ROAD INDUSTRIAL AREA
	G.T. Karnal Road Industrial Area
	Orange Operate
	MFG. OF AUTO PARTS WITH INJECTION MOLDING MACHINE.
	 
	10-02-2011 : CTE ---- CTE issued on 28.01.2010 and valid upto 27.01.2011 Vide C.No. 22738. Water Consumption ---- 600 liters/day Ground Water ---- 0 liters/day Built Up Area ---- 480 (in sq. meter) CETP Membership ---- G.T. Karnal Road Industrial Estate CETP Society / Membership No ---- 2227 Date of commissioning of project ---- 01.01.2009. Waste Water generation Domestic Effluent ---- 50 liters/day Trade Effluent ---- 0 liters/day ETP / STP ---- N/A Test Report(Water) within Limit ---- N/A Test Report(Air) within Limit ---- N/A NMR Sumitted ---- N/A
	Recommended for grant of consent to operate with the condition to provide hood & suction arrangement followed by a duct raised well above the roof levels (at least 2.0 meter above roof level) to channelize the process emissions and submit an compliance report on an affidavit within 06 months.
	Issue consent to operate with the condition to provide hood & suction arrangement followed by a duct raised well above the roof levels (at least 2.0 meter above roof level) to channelize the process emissions and submit an compliance report on an affidavit within 06 months.

	69
	35987  
	20-12-10
	WEMBLEY MANUFACTURING CO.
	B-16, PH-II, MANGOLPURI INDUSTRIAL AREA
	Mangolpuri Industrial Area
	Orange Operate
	PACKING OF ADHESIVE AND WIRE DRAWING.
	 
	10-02-2011 : CTE ---- CTE issued on 13.10.2009 and valid upto 12.10.2010 Vide C.No. 21447. Water Consumption ---- 250 liters/day Ground Water ---- 0 liters/day Built Up Area ---- 300 (in sq. meter) CETP Membership ---- Mangolpuri Industrial Area Phase - I & II CETP Society / Membership No ---- 3986 Date of commissioning of project ---- 01.01.2010. Waste Water generation Domestic Effluent ---- 150 liters/day Trade Effluent ---- 0 liters/day ETP / STP ---- N/A Test Report(Water) within Limit ---- N/A Test Report(Air) within Limit ---- N/A NMR Sumitted ---- N/A
	Ask the unit to apply for authorization under HWM Rules. 
	Ask the unit to apply for authorization under HWM Rules. 

	70
	36002  
	21-12-10
	ANAND & CO
	B-107, G.T. KARNAL ROAD INDUSTRIAL AREA
	G.T. Karnal Road Industrial Area
	Orange Renewal
	MFG. OF PLASTIC MOULDED ITEMS AND LIGHT ENGG. WORKS.
	 
	11-02-2011 : CTE ---- Not Applied. Water Consumption ---- 40 liters/day Ground Water ---- 0 liters/day Built Up Area ---- 209.03 (in sq. meter) CETP Membership ---- G.T. Karnal Road Industrial Estate CETP Society / Membership No ---- 1219 Date of commissioning of project ---- 01.01.1976 Waste Water generation Domestic Effluent ---- 20 liters/day Trade Effluent ---- 0 liters/day ETP / STP ---- N/A Test Report(Water) within Limit ---- N/A Test Report(Air) within Limit ---- N/A NMR Sumitted ---- N/A
	Recommended for grant of renewal of consent with the condition to provide hood & suction arrangement followed by a duct raised well above the roof levels (at least 2.0 meter above roof level) to channelize the process emissions and submit an compliance report on an affidavit within 06 months.
	Issue renewal of consent without use of plastic scrap with the condition to provide hood & suction arrangement followed by a duct raised well above the roof levels (at least 2.0 meter above roof level) to channelize the process emissions and submit an compliance report on an affidavit within 06 months.

	71
	36003  
	21-12-10
	NAG BANSI RAMA RUBBER INDUSTRIES
	PLOT NO.129, POCKET-F, SECTOR-I, DSIDC, BAWANA INDUSTRIAL AREA
	Bawana Industrial Area
	Orange Operate
	Mfg. of Rubber auto parts and engg. works is not running in the factory.
	 
	04-02-2011 : CTE---- yes issued on 29.10.2009 Water Consumption ---- 100 liters/day Ground Water ---- 0 liters/day Built Up Area ---- 120 (in sq. meter) Cetp Membership ---- N/A Date of commissioning of project ---- 01-01-2006 Waste Water generation Domestic Effluent ---- 50 liters/day Trade Effluent ---- 0 liters/day ETP / STP ---- No Test Report(Water) within Limit ---- N/A Test Report(Air) within Limit ---- N/A NMR Sumitted ---- N/A
	Inspection be conducted.
	Inspection be conducted.

	72
	36005  
	21-12-10
	PEARL DRINKS LIMITED
	B-42, LAWRENCE ROAD INDUSTRIAL AREA
	Lawrence Road Industrial Area
	Orange Renewal
	AREATED WATER AND READY TO SERVE FRUIT JUICE.
	 
	10-02-2011 : Earlier CMC Decision: 22.05.2009 Ask the unit to file permission from DJB for ground water extraction and to increase the stack height of the D.G. Set. Call on 18.07.2009. ATR Remarks: letter issued on 17.06.2009 Reply received on 01.07.2009. CTE ---- Not Applied. Water Consumption ---- 530000 liters/day Ground Water ---- 525000 liters/day Built Up Area ---- 4000 (in sq. meter) CETP Membership ---- Keshav Puram Industrial Area CETP Society Date of commissioning of project ---- 05.09.1985 Waste Water generation Domestic Effluent ---- 3000 liters/day Trade Effluent ---- 342000 liters/day ETP / STP ---- Yes Test Report(Water) within Limit ---- Yes Test Report(Air) within Limit ---- Yes NMR Sumitted ---- Yes
	In view of huge quantity of ground water extraction, it is essential that unit takes water convervation measures. Ask the unit to submit the methodology adopted for treatment of the ground water extracted before using in the process. In case, the RO is being used, ask the unit to submit its proposal for treatment of the reject water of RO. Unit be asked to clarify the discrepancies in the water consumption figure observed in comparison of its earlier consent application. Inform to DJB regarding ground water extraction. 
	Ask the unit to submit the methodology adopted for treatment of the ground water extracted before using in the process. In case, the RO is being used, ask the unit to submit its proposal for treatment / reuse of the reject water of RO. Unit be asked to clarify the discrepancies in the water consumption figure observed in comparison of its earlier consent application. Letter be issued to DJB to take action on priority in view of huge quatity of ground water being extracted which is used as a raw material for the product. 

	73
	36007  
	21-12-10
	KAILASH INDUSTRIES
	E-9, PHASE II, MAYAPURI INDUSTRIAL AREA
	Mayapuri Industrial Area
	Orange Renewal
	MFG OF STAMPING AND LAMINATION WITHOUT CASTING AND FORGING
	 
	08-02-2011 : CTE ---- Not applied Water Consumption ---- 200 liters/day Ground Water ---- 0 liters/day Built Up Area ---- 400 (in sq. meter) CETP Membership ---- Mayapuri Industrial Area CETP Society / Membership No ---- 11450 Date of commissioning of project ---- since 2003 Waste Water generation Domestic Effluent ---- 150 liters/day Trade Effluent ---- 0 liters/day ETP / STP ---- N/A Test Report(Water) within Limit ---- N/A Test Report(Air) within Limit ---- N/A NMR Sumitted ---- N/A Remarks: Cto issued valid upto 16.05.2007. Applied for CTO_R on 10.05.2007 vide ID no 21277.
	Recommended for grant of renewal of consent. 
	Issue renewal of consent. 

	74
	36012  
	21-12-10
	SHRI NIWAS FOOD INDUSTRIES
	C-26, LAWRENCE ROAD INDUSTRIAL AREA
	Lawrence Road Industrial Area
	Orange Operate
	DALL MILL.
	 
	10-02-2011 : Earlier CMC Decision: 12.02.2010 Issue Consent to Establish. Subsequently, inspection be conducted. ATR Remarks: CTE ---- CTE issued on16.03.2010 and valid upto 15.03.2011 Vide C.No. 23193 Water Consumption ---- 1000 liters/day Ground Water ---- 1000 liters/day Built Up Area ---- 345 (in sq. meter) CETP Membership ---- Keshav Puram Industrial Area CETP Society / Membership No ---- 196 Date of commissioning of project ---- 01.12.2010. Waste Water generation Domestic Effluent ---- 350 liters/day Trade Effluent ---- 0 liters/day ETP / STP ---- N/A Test Report(Water) within Limit ---- N/A Test Report(Air) within Limit ---- Yes NMR Sumitted ---- N/A
	Recommended for grant of consent to operate. Inform to DJB regarding ground water extraction. 
	Issue consent to operate. Inform to DJB regarding ground water extraction. 

	75
	36013  
	21-12-10
	PARMANAND & SONS FOOD PRODUCTS PVT. LTD.
	B-20,LAWRENCE ROAD INDUSTRIAL AREA
	Lawrence Road Industrial Area
	Orange Operate
	DALL MILL.
	 
	10-02-2011 : Earlier CMC decision: 30.09.2010 Ask the unt to apply for consent to establish and consent to operate in the new name for both the activity. ATR Remarks: letter was issued on 04.11.2010. CTE ---- CTE applied on 06.12.2010 with Id. No. 35856. Water Consumption ---- 350 liters/day Ground Water ---- 0 liters/day Built Up Area ---- 702 (in sq. meter) CETP Membership ---- Keshav Puram Industrial Area CETP Society / Membership No ---- 262 Date of commissioning of project ---- 01.01.2006 Waste Water generation Domestic Effluent ---- 150 liters/day Trade Effluent ---- 0 liters/day ETP / STP ---- N/A Test Report(Water) within Limit ---- N/A Test Report(Air) within Limit ---- Yes NMR Sumitted ---- N/A
	Recommended for grant of consent to operate.
	Issue consent to operate.

	76
	36017  
	21-12-10
	AMAN ENGG. WORKS
	PLOT NO.174, SEC-1, PKT-E, DSIDC, BAWANA INDUSTRIAL AREA
	Bawana Industrial Area
	Orange Operate
	Mfg. of Plastic Dana.
	 
	03-02-2011 : CTE ---- yes 26.09.2006 Water Consumption ---- 220 liters/day Ground Water ---- 0 liters/day Built Up Area ---- 150 (in sq. meter) Cetp Membership ---N/A Date of commissioning of project ---- Sept 2007 Waste Water generation Domestic Effluent ---- 150 liters/day Trade Effluent ---- 0 liters/day Test Report(Water) within Limit ---- N/A Test Report(Air) within Limit ---- N/A NMR Sumitted ---- N/A
	Recommended for grant of consent to operate with the condition to provide hood & suction arrangement followed by a duct raised well above the roof levels (at least 2.0 meter above roof level) to channelize the process emissions and submit an compliance report on an affidavit within 06 months.
	Issue consent to operate without use of plastic scrap with the condition to provide hood & suction arrangement followed by a duct raised well above the roof levels (at least 2.0 meter above roof level) to channelize the process emissions and submit an compliance report on an affidavit within 06 months.

	77
	36019  
	21-12-10
	NEW LIGHT INDUSTRIES
	A-19 JHILMIL INDUSTRIAL AREA
	Jhilmil Industrial Area
	Orange Operate
	Assembling of electrical steet light, flourscent, sodium vapour light fittings, mercury metal lights, flood lights, street lights, fittings etc.
	 
	03-02-2011 : CTE:No, Applied on 11.01.2011. Water Consumption ---- 330 liters/day Ground Water ---- 0 liters/day Built Up Area ---- 600 (in sq. meter) Cetp Membership: Yes. Date of commissioning of project:1995(Existing). Waste Water generation Domestic Effluent:300 liters/day Trade Effluent :0 liters/day ETP / STP :N/A. Test Report(Water) within Limit : N/A Test Report(Air) within Limit: Yes. SMR:Yes.(16.12.2010) NMR Sumitted:Yes. (26.10.2010)
	Inspection be conducted.
	Inspection be conducted.

	78
	36023  
	21-12-10
	NUFAB INDUSTRIES
	B-11, PH-II, MAYAPURI INDUSTRIAL AREA
	Mayapuri Industrial Area
	Orange Renewal
	INJECTION MOLDING AND SHEET METAL COMPONENTS
	 
	08-02-2011 : CTE ---- Not applied Water Consumption ---- 250 liters/day Ground Water ---- 250 liters/day Built Up Area ---- 90 (in sq. meter) CETP Membership ---- Mayapuri Industrial Area CETP Society / Membership No ---- 002056 Date of commissioning of project ---- feb 2005 Waste Water generation Domestic Effluent ---- 50 liters/day Trade Effluent ---- 0 liters/day ETP / STP ---- N/A Test Report(Water) within Limit ---- N/A Test Report(Air) within Limit ---- N/A NMR Sumitted ---- N/A Remarks: CTO issued twice valid upto 31.01.2008. Applied for CTO_R on 29.01.2008 vide ID no 24838.
	Recommended for grant of renewal of consent. Inform to DJB regarding ground water extraction.
	Issue renewal of consent. Inform to DJB regarding ground water extraction.

	79
	36030  
	22-12-10
	DEV MATTEL INDUSTRIAL
	1/424/63,GALI NO IB FRIENDS COLONY INDUSTRIAL AREA
	Friends Colony Industrial Area
	Orange Operate
	Job work of Supper Enamel Paint on Aluminum Wire Unit.
	 
	04-02-2011 : Direction for closure has been issued to the unit on 20.10.2010 in view of CWG(XIX)-2010. CTE ----Applied on 26.11.2010. Water Consumption ---- 200 liters/day Ground Water ---- 0 liters/day Built Up Area ---- 63 (in sq. meter) Cetp Membership ---- Jhilmil & Friends Colony Industrial Area CETP Society / Membership No ---- 001-09 Date of commissioning of project ---- Dec 2010. Waste Water generation Domestic Effluent ---- 180 liters/day Trade Effluent ---- 0 liters/day ETP / STP ---- N/A Test Report(Water) within Limit ---- N/A ECS: Yes 30.11.2010. Test Report(Air) within Limit ---- N/A NMR Sumitted ---- N/A Earlier unit was issued losure direction under 31(A) of Air Act.
	Implement the decision taken w.r.t consent to establish application. 
	Implement the decision taken w.r.t consent to establish application. 

	80
	36031  
	22-12-10
	SHRI GANESH WINDING WIRE
	1/424/37,GALI NO IB FRIENDS COLONY INDUSTRIAL AREA
	Friends Colony Industrial Area
	Orange Operate
	Job work of Supper Enamel Paint on Aluminum Wire Unit.
	 
	04-02-2011 : Directions for closure has been issued on 20.10.2010 regarding ECS, in view of CWG-XIX-2010. CTE ---- Applied on 26.11.2010 (Pending) Water Consumption ---- 100 liters/day Ground Water ---- 0 liters/day Built Up Area ---- 75 (in sq. meter) Cetp Membership ---- Jhilmil & Friends Colony Industrial Area CETP Society / Membership No ---- 5118 Date of commissioning of project ---- Dec 2010. Waste Water generation Domestic Effluent ---- 80 liters/day Trade Effluent ---- 0 liters/day ETP / STP ---- N/A Test Report(Water) within Limit ---- N/A. ECS:Yes, 30.11.2010. Test Report(Air) within Limit ---- N/A. D.G.Set: Nil. NMR Sumitted ---- N/A unit has been issued closure direction under 31(A) of Air Act.
	Implement the decision taken w.r.t consent to establish application. 
	Implement the decision taken w.r.t consent to establish application. 

	81
	36036  
	23-12-10
	ASIAN RUBBER INDUSTRIES
	69, NAJAFGARH ROAD INDUSTRIAL AREA
	Najafgarh Road Industrial Area
	Orange Renewal
	MFG OF RUBBER FOOTWEARS
	 
	08-02-2011 : CTE ---- Not applied Water Consumption ---- 1200 liters/day Ground Water ---- 0 liters/day Built Up Area ---- 300 (in sq. meter) CETP Membership ---- Kirti Nagar, DLF & Najafgarh Road Industrial Area CETP Society / Membership No ---- 905 Date of commissioning of project ---- 1975 Waste Water generation Domestic Effluent ---- 400 liters/day Trade Effluent ---- 0 liters/day ETP / STP ---- N/A Test Report(Water) within Limit ---- N/A Test Report(Air) within Limit ---- yes NMR---submitted dated 29.10.2010 (D.G. Sets of 2X125KVA, 1X140KVA) SMR submitted dated 29.10.2010 (thermic fluid heater with stack) Remarks: CTO issued twice valid upto 05.08.2007. Applied for CTO_R on 14.02.2008 vide ID no 24940.
	Recommended for grant of renewal of consent. 
	Issue renewal of consent. 

	82
	36039  
	23-12-10
	BAKERS SHOP
	GI-15, GTK ROAD INDUSTRIAL AREA
	G.T. Karnal Road Industrial Area
	Orange Operate
	Bakery (pasty, cake etc)
	 
	24-02-2011 : CTE ---- CTE applied on 09.08.2010 Vide Id. No. 34785. Water Consumption ---- 350 liters/day Ground Water ---- 0 liters/day Built Up Area ---- 100 (in sq. meter) CETP Membership ---- G.T. Karnal Road Industrial Estate CETP Society / Membership No ---- 360 Date of commissioning of project ---- 01.01.2010 Waste Water generation Domestic Effluent ---- 60 liters/day Trade Effluent ---- 0 liters/day ETP / STP ---- N/A Test Report(Water) within Limit ---- N/A Test Report(Air) within Limit ---- N/A NMR Sumitted ---- N/A
	Seek clarification regarding change of name in CTE and CTO application. 
	Seek clarification regarding change of name in CTE and CTO application. 

	83
	36040  
	23-12-10
	R.S. GOEL FIN LEASE AND SECURITIES (PVT.) LTD.
	KH. NO 72/18 MIN, 72/19 MIN, 72/20 MIN, 72/20 MIN, 72/10 MIN, 73/16, VILLAGE ALIPUR
	NORTH WEST
	Orange Operate
	PARTY LAWN/MOTELS.
	 
	10-02-2011 : Earlier CMC Decision: 05.01.2011 ask the unit to submit BG of 1 lac under air and water act each to revoke closure direction. ATR remarks: letter issued on 11.01.2011 reply receved on 13 jan 2011 revokation of closure direction issued on 17.01.2011. CTE ---- CTE issued on 10.09.2010 and valid upto 09.09.2011 Vide C.No. 25503. Water Consumption ---- 10000 liters/day Ground Water ---- 0 liters/day Built Up Area ---- 1200 (in sq. meter) CETP Membership ---- N/A Date of commissioning of project ---- 01-01-2010 Waste Water generation Domestic Effluent ---- 500 liters/day Trade Effluent ---- 7500 liters/day ETP / STP ---- Yes Test Report(Water) within Limit ---- Yes Test Report(Air) within Limit ---- N/A NMR Sumitted ---- N/A
	Recommended for grant of consent to operate.
	Issue consent to operate.

	84
	36046  
	23-12-10
	GOYAL BROTHERS
	PLOT NNO 340/62 B GALI NO 1B FRIENDS COLONY INDUSTRIAL AREA SHAHDARA
	Friends Colony Industrial Area
	Orange Operate
	Copper Wire Drawing with super Enameling.
	 
	04-02-2011 : CTE ----Granted, valid upto 08.06.2011. Water Consumption ---- 150 liters/day Ground Water ---- 0 liters/day Built Up Area ---- 66(in sq. meter) Cetp Membership ---- Jhilmil & Friends Colony Industrial Area CETP Society / Membership No ---- 001-09 Date of commissioning of project ---Jan 2010- Waste Water generation Domestic Effluent ---- 30 liters/day Trade Effluent ---- 0 liters/day ETP / STP ---- N/A Test Report(Water) within Limit ---- N/A SMR: Yes(30.09.2010). Test Report(Air) within Limit ---- Yes. D.G.Set: Nil. NMR Sumitted ---- N/A
	Recommended for grant of consent to operate and authorization under HWM Rules.
	Issue consent to operate and authorization under HWM Rules.

	85
	36048  
	23-12-10
	RELIABLE METAL INDUSTRIES
	PLOT NO.32-B, GALI NO.6, FRIENDS COLONY INDUSTRIAL AREA, SHAHDARA
	Friends Colony Industrial Area
	Orange Renewal
	Copper Wire Drawing with super Enameling.
	 
	04-02-2011 : CTE ---- Applied on 21.10.2008.(Pending) Water Consumption ---- 200 liters/day Ground Water ---- 0 liters/day Built Up Area ---- 175 (in sq. meter) Cetp Membership ---- Jhilmil & Friends Colony Industrial Area CETP Society / Membership No ---- 4634 Date of commissioning of project ----2008(EXISTING) Waste Water generation Domestic Effluent ---- 50 liters/day Trade Effluent ---- 0 liters/day ETP / STP ---- N/A Test Report(Water) within Limit ---- N/A. SMR:Yes (30.09.2010) Test Report(Air) within Limit ---- Yes. D.G.Set: 110 KVA. NMR Sumitted ---- Yes(15.11.2010)
	Recommended for grant of renewal of consent. Ask the unit to apply for fresh authorization under HWM Rules.
	Ask the unit to submit bank guarantee of Rs. 50,000 each Air Act and HWM Rules valid for one year and ask to apply for fresh authorization uner HWM Rules. If unit submits the bank guarantee, renewal of cosnent be issued. Issue SCN u/s 21/22 of the Air Act and u/s 25/26 of the Water Act to M/s Parina International. 

	86
	36049  
	23-12-10
	COATWELL INDIA PVT. LTD
	42, KIRTI NAGAR DLF INDUSTRIAL AREA
	Kirti Nagar Industrial Area
	Orange Renewal
	JOB WORK OF ELECTROPLATING
	 
	08-02-2011 : CTE ---- Not applied Water Consumption ---- 210 liters/day Ground Water ---- 0 liters/day Built Up Area ---- 200 (in sq. meter) CETP Membership ---- yes Date of commissioning of project ---- 1998 Waste Water generation Domestic Effluent ---- 150 liters/day Trade Effluent ----10 liters/day ETP ---yes, adequacy report submitted Test Report(Water) within Limit ---- yes Test Report(Air) within Limit ---- N/A NMR Sumitted ---- N/A Remarks Earlier CTO twice issued valid upto 18.11.2007. Applied CTO_R on 26.12.2007 vide ID no 24579. Applied for renewal of authorization on 23.07.2010 vide ID no 0302.
	Recommended for grant of renewal of consent. Ask the unit to apply for fresh authorization under HWM Rules.
	Issue renewal of consent. Ask the unit to apply for fresh authorization under HWM Rules.

	87
	36058  
	24-12-10
	CALCO POLY COMPOUNDS PVT.LTD.
	PLOT NO 7,PHASE-II, BADLI INDUSTIRAL ESTATE
	Badli Industrial Estate
	Orange Operate
	PLASTIC PRODUCT (MASTER BATCH).
	 
	11-02-2011 : CTE ---- CTE applied on 24.12.2010 with Id. No. 36058. Water Consumption ---- 300 liters/day Ground Water ---- 0 liters/day Built Up Area ---- 300 (in sq. meter) CETP Membership ---- Badli Industrial Area CETP Society / Membership No -- -- 6384 Date of commissioning of project ---- 28.07.2009 Waste Water generation Domestic Effluent ---- 200 liters/day Trade Effluent ---- 0 liters/day ETP / STP ---- N/A Test Report(Water) within Limit ---- N/A Test Report(Air) within Limit ---- N/A NMR Sumitted ---- N/A
	Recommended for grant of consent to operate with the condition to provide hood & suction arrangement followed by a duct raised well above the roof levels (at least 2.0 meter above roof level) to channelize the process emissions and submit an compliance report on an affidavit within 06 months.
	Issue consent to operate without use of plastic scrap with the condition to provide hood & suction arrangement followed by a duct raised well above the roof levels (at least 2.0 meter above roof level) to channelize the process emissions and submit an compliance report on an affidavit within 06 months.

	88
	36063  
	24-12-10
	SINHAL HARREN INDIA PVT. LTD.
	A-37 WAZIRPUR INDUSTRIAL AREA
	Wazirpur Industrial Area
	Orange Operate
	MFG. OF TOOTH BRUSH SHAVING BRUSH AND HAIR BRUSH.
	 
	11-02-2011 : CTE ---- CTE issued on 18.02.2010 and valid upto 17.02.2011 Vide C.No. 22837. Water Consumption ---- 500 liters/day Ground Water ---- 0 liters/day Built Up Area ---- 300 (in sq. meter) CETP Membership ---- Wazirpur Industrial Pollution Control Co. / Membership No ---- 953 Date of commissioning of project ---- 01.12.2009 Waste Water generation Domestic Effluent ---- 200 liters/day Trade Effluent ---- 0 liters/day ETP / STP ---- N/A Test Report(Water) within Limit ---- N/A Test Report(Air) within Limit ---- N/A NMR Sumitted ---- N/A
	Recommended for grant of consent to operate.
	Issue consent to operate.

	89
	36064
	24-12-2010
	SINHAL METAL INDIA PVT. LTD.
	8
	SSI INDUSTRIAL AREA
	Orange Operate
	 
	 
	 
	File be put up administratively. 
	Unit is engaged in mfg of cream separator machine. Issue consent to operate. 

	90
	36067  
	24-12-10
	PELICAN TRADERS
	A-27, (GROUP) WAZIRPUR INDUSTRIAL AREA
	Wazirpur Industrial Area
	Orange Renewal
	VACCUM METALIZING ON PLASTIC ITEM.
	 
	11-02-2011 : ATR Remarks: CTR pending on ID no 23896 applied on 12.10.2007. Inspection done on 18.11.2010 Observation: 1. No acoustic enclosure and adequate stack height provided with D.G sets of 62.5 KVA, but no rating plate found to as certain capacity of D.G sets. D.G Sets found in non operating condition. 2. No unit in name of m/s Prakash traders exist in said premises. CTE ---- CTE applied on 24.12.2010 with Id. No. 36068. Water Consumption ---- 200 liters/day Ground Water ---- 0 liters/day Built Up Area ---- 300 (in sq. meter) CETP Membership ---- Wazirpur Industrial Pollution Control Co. / Membership No ---- 4095 Date of commissioning of project ---- Waste Water generation Domestic Effluent ---- 100 liters/day Trade Effluent ---- 0 liters/day ETP / STP ---- N/A Test Report(Water) within Limit ---- N/A Test Report(Air) within Limit ---- Yes NMR Sumitted ---- N/A
	Recommended for grant of renewal of consent and authorization under HWM Rules.
	Issue renewal of consent and authorization under HWM Rules.

	91
	36069  
	27-12-10
	NATRAJ FOOD INDUSTRIES
	C-42/7, LAWRENCE ROAD INDUSTRIAL AREA
	Lawrence Road Industrial Area
	Orange Operate
	PROCESSING AND MANUFACTURING OF DALL.
	 
	10-02-2011 : Earlier CMC Decision: As per competent authority 23.11.2010 SCN for closure u/s of 31(A) of air act. ATR Remarks: SCN issued on 30.11.2010 reply received on 27.12.2010. CTE ---- CTE issued on 05.10.2010 and valid upto 04.10..2011 Vide Id. no. 25666. Water Consumption ---- 350 liters/day Ground Water ---- 350 liters/day Built Up Area ---- 285 (in sq. meter) CETP Membership ---- North West Industrial Federation CETP Society / Membership No ---- 301 Date of commissioning of project ---- 01.07.2010. Waste Water generation Domestic Effluent ---- 150 liters/day Trade Effluent ---- 0 liters/day ETP / STP ---- N/A Test Report(Water) within Limit ---- N/A Test Report(Air) within Limit ---- Yes NMR Sumitted ---- N/A
	Ask the unit to submit bank guarantee of Rs. 50,000 under Air Act valid for one year. If unit submits the bank guarantee, issue consent to operate. Inform to DJB regarding ground water extraction. 
	Ask the unit to submit bank guarantee of Rs. 50,000 under Air Act valid for one year. If unit submits the bank guarantee, issue consent to operate. Inform to DJB regarding ground water extraction. 

	92
	36070  
	27-12-10
	SHREE BANKEY BIHARI EXPORT LTD.
	C-38/2, LAWRENCE ROAD INDUSTRIAL AREA
	Lawrence Road Industrial Area
	Orange Operate
	DALL MILL.
	 
	11-02-2011 : CTE ---- CTE issued on 28.10.2009 nad valid upto 27.10.2010 Vide C.No. 21654. Water Consumption ---- 350 liters/day Ground Water ---- 0 liters/day Built Up Area ---- 855 (in sq. meter) CETP Membership ---- Keshav Puram Industrial Area CETP Society / Membership No ---- 302 Date of commissioning of project ---- 01.10.2009 Waste Water generation Domestic Effluent ---- 150 liters/day Trade Effluent ---- 0 liters/day ETP / STP ---- N/A Test Report(Water) within Limit ---- N/A Test Report(Air) within Limit ---- Yes NMR Sumitted ---- N/A
	Recommended for grant of consent to operate.
	Issue consent to operate.

	93
	36071  
	27-12-10
	SHREE BANKEY BEHARI EXPORTS LTD
	C-43/3, LAWRENCE ROAD, INDUSTRIAL AREA, DELHI-110035
	Lawrence Road Industrial Area
	Orange Renewal
	DALL MILL.
	 
	11-02-2011 : CTE ---- Not Applied. Water Consumption ---- 350 liters/day Ground Water ---- 0 liters/day Built Up Area ---- 232 (in sq. meter) CETP Membership ---- Keshav Puram Industrial Area CETP Society / Membership No ---- 280 Date of commissioning of project ---- 01.01.1996 Waste Water generation Domestic Effluent ---- 150 liters/day Trade Effluent ---- 0 liters/day ETP / STP ---- N/A Test Report(Water) within Limit ---- N/A Test Report(Air) within Limit ---- Yes NMR Sumitted ---- Yes
	Recommended for grant of renewal of consent. 
	Issue renewal of consent. 

	94
	36076  
	27-12-10
	FIO RESTAURANT (A UNIT OF VW CUISINES & CONCEPT PVT. LTD.)
	F-14, WEST BAZAAR, THE GARDEN OF FIVE SENSES, VILLAGE SAID ULA JAB
	SOUTH
	Orange Operate
	RESTAURANT.
	 
	05-01-2011 : EARLIER CMC DECISION 130th Ask the unit to submit valid health licence from MCD & eating house licence from Delhi Police. 138th Ask the unit to submit valid MCD health licence. 147th Issue SCN for refusal of consent. ATR/REMARK CTE : applied on 27.10.2009 Water Consumption : 3500 Lt/d Waste Water generation : (a) Domestic effluent: 300 Lt/d (b) Trade effluent: 2500 Lt/d Date of Commissioning : dec 2010 ETP : installed Test Report (Water) within limit : Yes Test Report (Air) within limit : N/A NMR submitted : N/A CTE applied on 27.10.2009 vide ID 31740. SCN for refusal of consent issue to the unit on 29.09.10.
	Recommended for grant of consent to operate and consent to establish.
	Issue consent to operate and consent to establish.

	95
	36077  
	27-12-10
	SANJHA CHULLAH RESTAURANT P. LTD
	361, KOHAT ENCLAVE, PITAMPURA
	WEST
	Orange Operate
	RESTAURANT AND BANQUET HALL.
	 
	10-02-2011 : Earlier CMC Decision: 05.08.2010 Inspection be conducted and Delhi Police and MCD licence be also ascertained during the inspection. ATR Remarks: Inspection conducted on 10.02.2011 1. Unit not found in operation due to renovation work. 2. Unit has installed ETP on top floor of the premises but the ETP was not in operation. 3. Hood and channelization has been provided to channelise the trade emissions generated during cooking process. 4. As informed, the restaurant will be started after a week. CTE ---- CTE applied on 13.10.2008 with Id. no. 27789. Water Consumption ---- 4000 liters/day Ground Water ---- 0 liters/day Built Up Area ---- 361 (in sq. meter) CETP Membership ---- N/A Date of commissioning of project ---- 01.11.2008 Waste Water generation Domestic Effluent ---- 500 liters/day Trade Effluent ---- 2500 liters/day ETP / STP ---- Yes Test Report(Water) within Limit ---- Yes Test Report(Air) within Limit ---- N/A NMR Sumitted ---- Yes
	Issue SCN for refusal of consent, SCN u/s 31(A) of the Air Act and u/s 33(A) of the Water Act for closure of the unit. 
	Issue SCN for refusal of consent, SCN u/s 31(A) of the Air Act and u/s 33(A) of the Water Act for closure of the unit. 

	96
	36078  
	27-12-10
	BHAWANI STEELS PVT. LTD.
	72, GT KARNAL ROAD, S.S.I INDUSTRIAL AREA
	S.S.I Industrial Area
	Orange Renewal
	RE ROLING OF COPPER INGOTS TO PRODUCE COPPER WIRE RODS.
	 
	11-02-2011 : CTE ---- Not Applied. Water Consumption ---- 3000 liters/day Ground Water ---- 3000 liters/day Built Up Area ---- 1075 (in sq. meter) CETP Membership ---- North West Industrial Federation CETP Society / Membership No ---- 8239 Date of commissioning of project ---- 01-01-1992 Waste Water generation Domestic Effluent ---- 700 liters/day Trade Effluent ---- 0 liters/day ETP / STP ---- N/A Test Report(Water) within Limit ---- N/A Test Report(Air) within Limit ---- Yes NMR Sumitted ---- N/A
	Recommended for grant of renewal of consent with the condition that capacity shall be less than 25 MT/day. Inform to DJB regarding ground water extraction. 
	Issue renewal of consent with the condition that capacity shall be less than 25 MT/day. Inform to DJB regarding ground water extraction. 

	97
	36087  
	28-12-10
	DEVANSH WIRE AND CABLES PVT LTD
	PLOT NO A-10/13 JHILMIL INDUSTRIES AREA
	Jhilmil Industrial Area
	Orange Operate
	Mfg. of Wires and Cables and wire drawing.
	 
	04-01-2011 : BUA :400 sq. mts. GW: Nil Water Consumption :200 Litres/day Waste Water generation : (a) Domestic effluent:20 L/Day (b) Trade effluent: Nil Date of Commissioning:Dec 2010. D.G.Set: Nil KVA. CTE:Applied on 22.11.2010.
	Recommended for grant of consent to operate and authorization under HWM Rules.
	Issue consent to operate and authorization under HWM Rules.

	98
	36088  
	28-12-10
	BLUE STAR INDUSTRIES
	115, FIE, PATPARGANJ INDUSTRIAL AREA
	Patparganj Industrial Area
	Orange Renewal
	Manufacturing of PVC Cabinets (By Injection Moulding Machine)
	 
	04-01-2011 : CTE:No. BUA :450 sq. mts. GW: Nil Water Consumption :200 Litres/day Waste Water generation : (a) Domestic effluent:50 L/Day (b) Trade effluent: Nil Date of Commissioning:2000(Existing). D.G.Set: 125 KVA. NMR:Yes(29.10.2010).
	Recommended for grant of renewal of consent with the condition to provide hood & suction arrangement followed by a duct raised well above the roof levels (at least 2.0 meter above roof level) to channelize the process emissions and submit an compliance report on an affidavit within 06 months.
	Issue renewal of consent without use of plastic scrap with the condition to provide hood & suction arrangement followed by a duct raised well above the roof levels (at least 2.0 meter above roof level) to channelize the process emissions and submit an compliance report on an affidavit within 06 months.

	99
	36089  
	28-12-10
	R.N.G. IMPEX PVT. LTD.
	PLOT NO. 1/422, GALI NO. 6, FRIENDS COLONY INDUSTRIAL AREA, SHAHDARA
	Friends Colony Industrial Area
	Orange Renewal
	Copper Wire Drawing.
	 
	04-01-2011 : BUA :120 sq. mts. GW: Nil Water Consumption :100 Litres/day Waste Water generation : (a) Domestic effluent: 50 L/Day (b) Trade effluent: Nil Date of Commissioning:2001(existing). D.G.Set: Nil KVA. CTE: Granted valid upto 07.10.2009.
	Recommended for grant of renewal of consent. Ask the unit to apply for fresh authorization under HWM Rules.
	Issue renewal of consent. Ask the unit to apply for fresh authorization under HWM Rules.

	100
	36090  
	28-12-10
	R.K ENGINEERING
	PLOT NO.423-424, GALI NO.-7, FRIENDS COLONY INDUSTRIAL AREA, SHAHDARA
	Friends Colony Industrial Area
	Orange Renewal
	Manufacturing of C.P. Bathroom Fittings.
	 
	25-02-2011 : CTE -No. Water Consumption ---- 600 liters/day Ground Water ---- 0 liters/day Built Up Area ---- 150 (in sq. meter) CETP Membership ---- Jhilmil & Friends Colony Industrial Area CETP Society / Membership No ---- 4668 Date of commissioning of project ----2003(Existing). Waste Water generation Domestic Effluent ---- 50 liters/day Trade Effluent ---- 500 liters/day ETP / STP ----Yes, Feb 2008. SMR: Yes.(23.12.2010) Test Report(Water) within Limit ---- Yes. Test Report(Air) within Limit ---- Yes. D.G.Set: 62 KVA and 30 KVA NMR Sumitted ---- Yes.(04.10.2010).
	Recommended for grant of renewal of consent. Ask the unit to apply for fresh authorization under HWM Rules.
	Issue renewal of consent. Ask the unit to apply for fresh authorization under HWM Rules.

	101
	36093  
	28-12-10
	JAI ENTERPRISES
	C-16, S. M. A. INDUSTRIAL AREA
	S.M.A Industrial Area
	Orange Operate
	BUFFING ON STAINLESS STEEL UTENSILS.
	 
	10-02-2011 : Earlier CMC Decision: Competent authority 26.11.2010 SCN for closure u/s 31(A) of air act. ATR remarks: SCN issued on 15.12.2010 No reply received. CTE ---- CTE issued on 02.06.2010 and valid upto 01.06.2011 Vide C.No. 23879 Water Consumption ---- 50 liters/day Ground Water ---- 0 liters/day Built Up Area ---- 200 (in sq. meter) CETP Membership ---- North West Industrial Federation CETP Society / Membership No ---- 6518 Date of commissioning of project ---- 01.04.2009 Waste Water generation Domestic Effluent ---- 10 liters/day Trade Effluent ---- 0 liters/day ETP / STP ---- N/A Test Report(Water) within Limit ---- N/A Test Report(Air) within Limit ---- Yes NMR Sumitted ---- N/A
	Ask the unit to submit Bank Guarantee of Rs. 50,000 under Air Act valid for one year. If unit submits the bank guarantee, issue consent to operate.
	Ask the unit to submit Bank Guarantee of Rs. 50,000 under Air Act valid for one year. If unit submits the bank guarantee, issue consent to operate.

	102
	36096  
	28-12-10
	SEHGAL ELECTRONICS
	PLOT NO-62,POCKET -I SECTOR-1 DSIDC INDUSTRIAL COOMPLEX BAWANA
	Bawana Industrial Area
	Orange Operate
	Manufacturing regulator, musical bell, light dimmer.
	 
	03-02-2011 : CTE ---- yes issued on 10.08.2006 Water Consumption ---- 20 liters/day Ground Water ---- 0 liters/day Built Up Area ---- 60 (in sq. meter) Cetp Membership ---- Not Applicable Date of commissioning of project ----31.03.2010 Waste Water generation Domestic Effluent ---- 15 liters/day Trade Effluent ---- 0 liters/day ETP / STP ---- no Test Report(Water) within Limit ---- N/A Test Report(Air) within Limit ---- N/A NMR Sumitted ---- N/A
	Recommended for grant of consent to operate.
	Issue consent to operate.

	103
	36097  
	29-12-10
	SHASHI FOUNDRY WORKSHOPT
	F-41, PH-II, MAYAPURI INDUSTRIAL AREA
	Mayapuri Industrial Area
	Orange Renewal
	C I CASTING USING PIT FURANCE
	 
	08-02-2011 : CTE ---- Not applied Water Consumption ---- 100 liters/day Ground Water ---- 0 liters/day Built Up Area ---- 83 (in sq. meter) CETP Membership ---- Mayapuri Industrial Area CETP Society / Membership No ---- 000673 Date of commissioning of project ---- 1980 Waste Water generation Domestic Effluent ---- 80 liters/day Trade Effluent ---- 0 liters/day ETP / STP ---- N/A Test Report(Water) within Limit ---- N/A Test Report(Air) within Limit ---- N/A NMR Sumitted ---- N/A SMR submitted dated 29.10.2010 (pit furnace with stack) Remarks: CTO issued twice valid upto 22.07.2007. Applied for CTO_R on 17.10.2007 vide ID no 23940.
	Recommended for grant of renewal of consent. 
	Issue renewal of consent. 

	104
	36098  
	29-12-10
	GLOBAL FOOTWEAR (INDIA)
	69, NAJAFGARH ROAD INDUSTRIAL AREA (RAMA ROAD)
	Najafgarh Road Industrial Area
	Orange Renewal
	RUBBER PLASTIC AND PVC FOOTWERS
	 
	08-02-2011 : CTE ---- Not applied Water Consumption ---- 800 liters/day Ground Water ---- 0 liters/day Built Up Area ---- 300 (in sq. meter) CETP Membership ---- Kirti Nagar, DLF & Najafgarh Road Industrial Area CETP Society / Membership No ---- 1 Date of commissioning of project ---- 1981 Waste Water generation Domestic Effluent ---- 250 liters/day Trade Effluent ---- 0 liters/day ETP / STP ---- N/A Test Report(Water) within Limit ---- N/A Test Report(Air) within Limit ---- Yes NMR Sumitted ---- submitted dated 29.10.2010 (D.G. Set 125X2 KVA) SMR submitted dated 29.10.2010 (thermic fluid heater with stack) Remarks: CTO issued twice valid upto 05.08.2007. Applied for CTO_R on 15.01.2008 vide ID no 24744.
	Recommended for grant of renewal of consent with the condition to provide hood & suction arrangement followed by a duct raised well above the roof levels (at least 2.0 meter above roof level) to channelize the process emissions and submit an compliance report on an affidavit within 06 months.
	Issue renewal of consent without use of plastic scrap with the condition to provide hood & suction arrangement followed by a duct raised well above the roof levels (at least 2.0 meter above roof level) to channelize the process emissions and submit an compliance report on an affidavit within 06 months.

	105
	36099  
	29-12-10
	SUBHASH PLASTICS
	I-2150, DSIDC, NARELA INDUSTRIAL AREA
	Narela Industrial Area
	Orange Operate
	MFG. O F P.V.C. COMPOUND.
	 
	10-02-2011 : CTE ---- Cte issued on 01.10.2004 and valid upto 28.01.2005 Vide C.No. 11822 Water Consumption ---- 200 liters/day Ground Water ---- 0 liters/day Built Up Area ---- 120 (in sq. meter) CETP Membership ---- Not Applicable Date of commissioning of project ---- 01.01.2005 Waste Water generation Domestic Effluent ---- 70 liters/day Trade Effluent ---- 0 liters/day ETP / STP ---- N/A Test Report(Water) within Limit ---- N/A Test Report(Air) within Limit ---- N/A NMR Sumitted ---- N/A
	Issue SCN for refusal of consent for not providing the control measures in plastic reprocessing to achieve the prescribed limits for particulate matters and Hcl. 
	Issue SCN for refusal of consent for not providing the control measures in plastic reprocessing to achieve the prescribed limits for particulate matters and Hcl. 

	106
	36102  
	29-12-10
	STERLING AUTOMOBILES PVT. LTD.
	A-40, MOHAN CO-OPERATIVE INDUSTRIAL AREA
	Mohan Co-operative Industrial Area
	Orange Operate
	SERVICING OF CARS UNIT.
	 
	19-01-2011 : EARLIER CMC DECISIONS 26.07.2010 Issue consent to establish. Subsequently, inspection be conducted. 154th Issue SCN u/s 21/22 of the Air Act and u/s 25/26 of the Water Act for not obtaining consent to operate incorporating the deficiencies found during the inspection and SCN u/s 5 of the EPA for not following the HWM Rules. REMARKS CTE : issued on 24.08.10 Water Consumption : 11000 Lt/d on application form and 9500 Lt/d on affidavit Waste Water generation : (a) Domestic effluent: 3500 Lt/d (b) Trade effluent: 6000 Lt/d Date of Commissioning: July 2010 ETP : installed Test Report (Water) within limit : yes Test Report (Air) within limit : yes NMR submitted: yes G W: Nil DG set : 160 KVA and NMR submitted dated 02.12.10. Adequacy report of ETP submitted dated November 2010 and Test report submitted dated 30.11.10 SMR submitted dated 23.12.10. CTE issued on 24.08.10 vide CNO 25222. Fresh authorization under HWM Rules applied on 22.12.10 vide ID 0573. SCN u/s 21/22 of the Air Act and u/s 25/26 of the Water Act for not obtaining consent to operate incorporating the deficiencies found during the inspection and SCN u/s 5 of the EPA for not following the HWM Rules issued to the unit on 23.12.10 unit submitted its reply on 05.01.11 stating that they have correct the deficiencies observed during inspection.
	Ask the unit to submit Bank Guarantee of Rs. 50,000 under HWM Rules valid for one year. If unit submits the bank guarantee, issue consent to operate, consent to establish and authorization under HWM Rules. 
	Ask the unit to submit Bank Guarantee of Rs. 50,000 under HWM Rules valid for one year. If unit submits the bank guarantee, issue consent to operate, consent to establish and authorization under HWM Rules. 

	107
	36103  
	29-12-10
	ADARSH YAMAHA
	F-26/4, PHASE-II, OKHLA INDUSTRIAL AREA
	Okhla Industrial Area
	Orange Operate
	SALE AND SERVICING OF MOTOR BIKES UNIT.
	 
	19-01-2011 : EARLIER CMC DECISION 140th Issue consent to establish. Subsequently, inspection be conducted. Ask the unit to apply for authorization under HWM Rules in view of generation of waste / used oil. 149th Issue SCN u/s 31(A) of the Air Act, u/s 33(A) of the Water Act & u/s 5 of the Environment Act for closure of the unit to M/s Adarsh Yamaha. Issue SCN u/s 21/22 of the Air Act and u/s 25/26 of the Water Act to M/s Bulland LML and M/s Katiyama Sharma. Remarks CTE : issued on 04.06.10 Water Consumption : 900 Lt/d Waste Water generation : (a) Domestic effluent: 400Lt/d on application form and 300 Lt/d on Affidavit (b) Trade effluent: 300Lt/d on application form and 400 Lt/d on Affidavit Date of Commissioning:October 2009 ETP : installed Test Report (Water) within limit : yes Test Report (Air) within limit : N/a NMR submitted: NMR submitted of 15 KVA but in application form and affidavit 150 menstioned. DG set : 150 KVA on application form and affidavit but in NMR DG set menstioned 15 kVA. Adequacy report submitted of November 2010 and Test report submitted dated 30.11.2010. CTE issued on 04.06.10 vide CNO 23978. Fresh authorization under HWM Rule applied on 18.11.10 vide ID 0497. SCN u/s 31(A) of the Air Act, u/s 33(A) of the Water Act & u/s 5 of the Environment Act for closure of the unit to M/s Adarsh Yamaha issued on 08.11.10. SCN u/s 21/22 of the Air Act and u/s 25/26 of the Water Act to M/s Bulland LML and M/s Katiyama Sharma issued on 08.11.10. Unit submitted its reply on18.11.10
	Recommended for consent to operate and authorization under HWM Rules, if the unit submits the bank guarantees already decided. 
	Issue consent to operate and authorization under HWM Rules, if the unit submits the bank guarantees already decided. 

	108
	36106  
	29-12-10
	BABY PLASTIC INDUSTRIES
	PLOT NO.35, PKT-O, SECTOR-5, DSIDC INDUSTRIAL COMPLEX, BAWANA
	Bawana Industrial Area
	Orange Operate
	Mfg. of Plastic Goods with Injection Moulding Machine W/o Trade Effluent.
	 
	03-02-2011 : CTE ---- yes 4.12.2009 Water Consumption ---- 200 liters/day Ground Water ---- 0 liters/day Built Up Area ---- 70 (in sq. meter) Cetp Membership ---- Not Applicable Date of commissioning of project ---- 2009 Waste Water generation Domestic Effluent ---- 150 liters/day Trade Effluent ---- 0 liters/day Test Report(Water) within Limit ---- N/A Test Report(Air) within Limit ---- N/A NMR Sumitted ---- N/A
	Recommended for grant of consent to operate with the condition to provide hood & suction arrangement followed by a duct raised well above the roof levels (at least 2.0 meter above roof level) to channelize the process emissions and submit an compliance report on an affidavit within 06 months.
	Issue consent to operate without use of plastic scrap with the condition to provide hood & suction arrangement followed by a duct raised well above the roof levels (at least 2.0 meter above roof level) to channelize the process emissions and submit an compliance report on an affidavit within 06 months.

	109
	36107  
	29-12-10
	SUNIL POLYMERS PVT. LTD.
	A-1, G.T. KARNAL ROAD INDUSTRIAL AREA
	G.T. Karnal Road Industrial Area
	Orange Renewal
	INJECTION MOULDING ITEMS AND PLASTIC DANA.
	 
	10-02-2011 : CTE ---- Not Applied. Water Consumption ---- 200 liters/day Ground Water ---- 0 liters/day Built Up Area ---- 195 (in sq. meter) CETP Membership ---- G.T. Karnal Road Industrial Estate CETP Society / Membership No ---- 2390 Date of commissioning of project ---- 01.04.1988 Waste Water generation Domestic Effluent ---- 80 liters/day Trade Effluent ---- 0 liters/day ETP / STP ---- N/A Test Report(Water) within Limit ---- N/A Test Report(Air) within Limit ---- N/A NMR Sumitted ---- N/A
	Recommended for grant of renewal of consent with the condition to provide hood & suction arrangement followed by a duct raised well above the roof levels (at least 2.0 meter above roof level) to channelize the process emissions and submit an compliance report on an affidavit within 06 months.
	Issue renewal of consent without use of plastic scrap with the condition to provide hood & suction arrangement followed by a duct raised well above the roof levels (at least 2.0 meter above roof level) to channelize the process emissions and submit an compliance report on an affidavit within 06 months.

	110
	36108  
	29-12-10
	V.P. PLASTIC (P) LTD.
	A-28, G.T. KARNAL ROAD INDUSTRIAL AREA
	G.T. Karnal Road Industrial Area
	Orange Renewal
	MFG. OF PLASTIC DANA.
	 
	10-02-2011 : CTE ---- Not Applied. Water Consumption ---- 200 liters/day Ground Water ---- 0 liters/day Built Up Area ---- 150 (in sq. meter) CETP Membership ---- G.T. Karnal Road Industrial Estate CETP Society / Membership No ---- 2389 Date of commissioning of project ---- 16.08.1993. Waste Water generation Domestic Effluent ---- 90 liters/day Trade Effluent ---- 0 liters/day ETP / STP ---- N/A Test Report(Water) within Limit ---- N/A Test Report(Air) within Limit ---- N/A NMR Sumitted ---- N/A
	Recommended for grant of renewal of consent with the condition to provide hood & suction arrangement followed by a duct raised well above the roof levels (at least 2.0 meter above roof level) to channelize the process emissions and submit an compliance report on an affidavit within 06 months.
	Issue renewal of consent without use of plastic scrap with the condition to provide hood & suction arrangement followed by a duct raised well above the roof levels (at least 2.0 meter above roof level) to channelize the process emissions and submit an compliance report on an affidavit within 06 months.

	111
	36109  
	29-12-10
	SETH PLASTIC INDUSTRIES
	A-1, G.T. KARNAL ROAD INDUSTRIAL AREA
	G.T. Karnal Road Industrial Area
	Orange Renewal
	PLASTIC INJECTION MOULDING ITEMS.
	 
	10-02-2011 : CTE ---- Not Applied. Water Consumption ---- 200 liters/day Ground Water ---- 0 liters/day Built Up Area ---- 50 (in sq. meter) CETP Membership ---- Not Applied. Date of commissioning of project ---- Waste Water generation Domestic Effluent ---- 80 liters/day Trade Effluent ---- 0 liters/day ETP / STP ---- N/A Test Report(Water) within Limit ---- N/A Test Report(Air) within Limit ---- N/A NMR Sumitted ---- N/A
	Recommended for grant of renewal of consent with the condition to provide hood & suction arrangement followed by a duct raised well above the roof levels (at least 2.0 meter above roof level) to channelize the process emissions and submit an compliance report on an affidavit within 06 months.
	Issue renewal of consent without use of plastic scrap with the condition to provide hood & suction arrangement followed by a duct raised well above the roof levels (at least 2.0 meter above roof level) to channelize the process emissions and submit an compliance report on an affidavit within 06 months.

	112
	36110  
	29-12-10
	K R F LIMITED
	B-92, PH-I, MAYAPURI INDUSTRIAL AREA
	Mayapuri Industrial Area
	Orange Operate
	PRINTED LABELS HEAT TRANSFER STICKERS ETC
	 
	09-02-2011 : CTE ---- Issued valid upto 06.06.2011 vide consent order no 24101. Water Consumption ---- 3500 liters/day Ground Water ---- 0 liters/day Built Up Area ---- 274 (in sq. meter) CETP Membership ---- Mayapuri Industrial Area CETP Society / Membership No ---- 10956 Date of commissioning of project ---- nov 2003 Waste Water generation Domestic Effluent ---- 1500 liters/day Trade Effluent ---- 0 liters/day ETP / STP ---- N/A Test Report(Water) within Limit ---- N/A Test Report(Air) within Limit ---- yes NMR Sumitted ---- Yes, submitted on 15.12.2010 (D.G. Set of 250 KVA) Remarks: CTO under Green category cancelled on 20.10.2009 vide consent order no 342. Applied for fresh authorization under HWM rules on 01.02.2011 vide ID no 0644.
	Recommended for grant of consent to operate and authorization under HWM Rules.
	Issue consent to operate and authorization under HWM Rules.

	113
	36112  
	29-12-10
	SAINI TEXTILES
	A-17, PHASEIII, BADLI INDUSTRIAL ESTATE
	Badli Industrial Estate
	Orange Operate
	WASHING AND DYING WITH FABRIC.
	 
	11-02-2011 : CTE ---- Not Applied. Water Consumption ---- 5500 liters/day Ground Water ---- 5500 liters/day Built Up Area ---- 240 (in sq. meter) CETP Membership ---- Badli Industrial Area CETP Society / Membership No -- -- 659 Date of commissioning of project ---- 01.01.2002 Waste Water generation Domestic Effluent ---- 350 liters/day Trade Effluent ---- 5000 liters/day ETP / STP ---- Yes Test Report(Water) within Limit ---- Yes Test Report(Air) within Limit ---- Yes NMR Sumitted ---- N/A
	Inspection be conducted. Inform to DJB regarding ground water extraction. 
	Inspection be conducted to ascertain the type of boiler. Inform to DJB regarding ground water extraction. 

	114
	36113  
	29-12-10
	VERSATILE ENTERPRISES
	PLOT NO.-15, POCKET-H, SECTOR-3, BAWANA INDUSTRIAL AREA
	Bawana Industrial Area
	Orange Operate
	Double Bond foam bonded fabric (Man made laminated fabric)
	 
	03-02-2011 : CTE ---- yes 11.06.2010 Water Consumption ---- 200 liters/day Ground Water ---- 0 liters/day Built Up Area ---- 150 (in sq. meter) Cetp Membership ---- Not Applicable affidavit in the name of DPCC Date of commissioning of project ---- Feb 2009 Waste Water generation Domestic Effluent ---- 100 liters/day Trade Effluent ---- 0 liters/day ETP / STP ---- no Test Report(Water) within Limit ---- N/A Test Report(Air) within Limit ---- N/A NMR Sumitted ---- Yes
	Recommended for grant of consent to operate.
	Issue consent to operate.

	115
	36115  
	29-12-10
	KONCEPT AUTOMOBILES PVT. LTD.
	C-50, PHASE-II, OKHLA INDUSTRIAL AREA
	Okhla Industrial Area
	Orange Operate
	AUTO MOBILE WORKSHOP CUM SERVICE STATION.
	 
	05-01-2011 : EARLIER CMC DECISION 140th Issue consent to establish. Ask the unit to apply for authorization under HWM Rules. REMARKS CTE : issued on 04.06.2010 Water Consumption : 4500 Lt/d Waste Water generation : (a) Domestic effluent: 400 Lt/d (b) Trade effluent: 4000 Lt/d Date of Commissioning: 2008-09 ETP : installed Test Report (Water) within limit : yes Test Report (Air) within limit : N/a NMR submitted : submittd dated 07.10.2010 Adequacyreport submitted dated 02.07.09 and Test report submitted dated 04.10.10 D G set : 125 Kva and NMR submitted G W : Nil CTE issued to the unit on 04.06.10 vide CNO 24005. Fresh authorization under HWM Rule applied on 29.12.2010 vide ID 0606.
	Recommended for grant of consent to operate and authorization under HWM Rules.
	Issue consent to operate and authorization under HWM Rules.

	116
	36117  
	29-12-10
	PRIMCO MA CHINETOOLS
	308/5, OLD ROHTAK ROAD SHAHZADA BAGH INDUSTRIAL AREA ,
	Shahzada Bagh Industrial Area
	Orange Renewal
	Mfg. of Electric Motors, Grinders and Polishers.
	 
	03-02-2011 : CTE ---- No Water Consumption ---- 100 liters/day Ground Water ---- 100 liters/day Built Up Area ---- 401 (in sq. meter) Cetp Membership ---- Not Applicable Date of commissioning of project ----1965 Waste Water generation Domestic Effluent ---- 80 liters/day Trade Effluent ---- 0 liters/day Test Report(Water) within Limit ---- N/A Test Report(Air) within Limit ---- N/A NMR Sumitted ---- N/A
	Recommended for grant of renewal of consent. Inform to DJB regarding ground water extraction. 
	Issue renewal of consent. Inform to DJB regarding ground water extraction. 

	117
	36118  
	29-12-10
	LAXMI PLASTIC UDYOG
	E-21, SECTOR-5, DSIDC, BAWANA INDUSTRIAL AREA
	Bawana Industrial Area
	Orange Operate
	Mfg. of Plastic Products Viz tarpaulin.
	 
	03-02-2011 : CTE ---- yes issued on 16.03.2010 Water Consumption ---- 200 liters/day Ground Water ---- 200 liters/day Built Up Area ---- 150 (in sq. meter) Cetp Membership ---- Not Applicable Date of commissioning of project ----2007 Waste Water generation Domestic Effluent ---- 150 liters/day Trade Effluent ---- 0 liters/day Test Report(Water) within Limit ---- N/A Test Report(Air) within Limit ---- N/A NMR Sumitted ---- N/A
	Inspection be conducted. Inform to DJB regarding ground water extraction. 
	Inspection be conducted. Inform to DJB regarding ground water extraction. 

	118
	36120  
	29-12-10
	VISHAL BANSAL & CO.
	PLOT NO.9, MPL-530, GALI NO.4, FRIENDS COLONY INDUSTRIAL AREA, SHAHDARA
	Friends Colony Industrial Area
	Orange Operate
	Copper Wire Drawing.
	 
	03-02-2011 : CTE:Applied on 30.04.2008 & 29.12.2010.(pending) BUA: 67 sq m. GW: Nil Water Consumption: 170 lit/day. CETP Membership No. 4260 Waste Water: (a) domestic effluent: 50 lit/day (b) Trade Effluent:Nil Year of estblishment:Nov2001. D.G.Set: Nil. Earlier unit was issued closure notice under 31(A) of Air Act
	Implement the decision taken w.r.t consent to establish application. 
	Implement the decision taken w.r.t consent to establish application. 

	119
	36121  
	29-12-10
	JAI AUTO (A UNIT OF J.S.B. AUTO PVT. LTD.)
	A-39, MOHAN CO-OPERATIVE INDUSTRIAL AREA
	Mohan Co-operative Industrial Area
	Orange Operate
	SERVICING AND WASHING OF VEHICLES WITH REPAIRING, DENTING AND PAINTING.
	 
	26-01-2011 : EARLIER CMC DECISION 26.05.10 Issue consent to establish. Subsequently, inspection be conducted. 154th Issue SCN u/s 21/22 of the Air Act and u/s 25/26 of the Water Act for not obtaining consent to operate. Also issue SCN u/s 5 of the EPA for not following the HWM Rules. Inform to DJB regarding ground water extraction. Remarks CTE : issued on 30.06.2010 Water Consumption : 8500 Lt/d Waste Water generation : (a) Domestic effluent: 450 Lt/d (b) Trade effluent: 7000 Lt/d Date of Commissioning: April 2010 ETP : installed Test Report (Water) within limit : yes Test Report (Air) within limit : yes NMR submitted :N/a Adequacyreport submitted November 2010 and Test report submitted dated 12.10.10 D G set :Nil G W : Nil SMR submitted dated 06.10.10 CTE issued to the unit on 30.06.10 vide CNO 24662. Fresh authorization under HWM Rule applied on 29.12.2010 vide ID 0608. SCN u/s 21/22 of the Air Act and u/s 25/26 of the Water Act for not obtaining consent to operate and SCN u/s 5 of the EPA for not following the HWM Rules issued to the unit on 27.12.10. letter to inform to DJB regarding ground water extraction issued on 27.12.10. Unit submitted its reply on 18.01.11
	Ask the unit to submit Bank Guarantee of Rs. 50,000 under HWM Rules valid for one year. If unit submits the bank guarantee, issue consent to operate and authorization under HWM Rules. 
	Ask the unit to submit Bank Guarantee of Rs. 50,000 under HWM Rules valid for one year. If unit submits the bank guarantee, issue consent to operate and authorization under HWM Rules. 

	120
	36123  
	29-12-10
	NALANDA CABLE INDUSTREIS
	PLOT NO. 421/A, GALI NO. 5, FRIENDS COLONY INDUSTRIAL AREA
	Friends Colony Industrial Area
	Orange Renewal
	PVC wire and cables.
	 
	03-02-2011 : CTE ---- Granted valid upto 03.06.2011. Water Consumption ---- 120 liters/day Ground Water ---- 0 liters/day Built Up Area ---- 57 (in sq. meter) Cetp Membership ---- Jhilmil & Friends Colony Industrial Area CETP Society / Membership No ---- 4836 Date of commissioning of project ---- 1977 (Existing) Waste Water generation Domestic Effluent ---- 100 liters/day Trade Effluent ---- 0 liters/day ETP / STP ---- N/A Test Report(Water) within Limit ---- N/A Test Report(Air) within Limit ---- N/A NMR Sumitted ---- N/A D.G.Set: Nil.
	Recommended for grant of renewal of consent with the condition to provide hood & suction arrangement followed by a duct raised well above the roof levels (at least 2.0 meter above roof level) to channelize the process emissions and submit an compliance report on an affidavit within 06 months.
	Issue renewal of consent with the condition to provide hood & suction arrangement followed by a duct raised well above the roof levels (at least 2.0 meter above roof level) to channelize the process emissions and submit an compliance report on an affidavit within 06 months.

	121
	36125  
	30-12-10
	NATHUS FOODS PVT. LTD.
	F-17 , VIJAY BLOCK , LAXMI NAGAR
	EAST
	Orange Renewal
	Restaurant/Eating House.
	 
	06-01-2011 : CTE: Applied on 30.12.2010. BUA: 18.58sq yd GW: Nil Water Consumption: 3500 lit/day. Waste Water: (a) domestic effluent: 700 lit/day. (b) Trade Effluent:50 lit/day. Year of estblishment:Sept 2000. D.G.Set:125 KVA. NMR: Yes, submitted on 18.12.2010. ETP: Not submitted
	Recommended for grant of renewal of consent. 
	Issue renewal of consent. 

	122
	36128  
	30-12-10
	STANDARD CYCLE INDUSTRIES
	B-104, G.T. KARNAL ROAD INDUSTRIAL AREA
	G.T. Karnal Road Industrial Area
	Orange Renewal
	MFG. OF CYCLE PARTS AND INJECTION MOULDED GOODS.
	 
	10-02-2011 : CTE ---- Not Applied. Water Consumption ---- 30 liters/day Ground Water ---- 0 liters/day Built Up Area ---- 325 (in sq. meter) CETP Membership ---- G.T. Karnal Road Industrial Estate CETP Society Date of commissioning of project ---- Waste Water generation Domestic Effluent ---- 20 liters/day Trade Effluent ---- 0 liters/day ETP / STP ---- N/A Test Report(Water) within Limit ---- N/A Test Report(Air) within Limit ---- N/A NMR Sumitted ---- N/A
	Recommended for grant of renewal of consent with the condition to provide hood & suction arrangement followed by a duct raised well above the roof levels (at least 2.0 meter above roof level) to channelize the process emissions and submit an compliance report on an affidavit within 06 months.
	Issue renewal of consent with the condition to provide hood & suction arrangement followed by a duct raised well above the roof levels (at least 2.0 meter above roof level) to channelize the process emissions and submit an compliance report on an affidavit within 06 months.

	123
	36129  
	30-12-10
	ABHINAV OVERSEAS (A UNIT OF MARINO CABLES INDIA PVT. LTD.)
	66, S.S.I G. T. K. ROAD INDUSTRIAL AREA
	G.T. Karnal Road Industrial Area
	Orange Operate
	Mfg. of Wire and Cable.
	 
	28-02-2011 : CTE ---- CTE issued on 18.06.2010 and valid upto 17.06.2011 Vide C.No. 24416. Water Consumption ---- 500 liters/day Ground Water ---- 250 liters/day Built Up Area ---- 800.15 (in sq. meter) CETP Membership ---- North West Industrial Federation CETP Society / Membership No ---- 8229 Date of commissioning of project ---- 01-01-2009 Waste Water generation Domestic Effluent ---- 175 liters/day Trade Effluent ---- 0 liters/day ETP / STP ---- N/A Test Report(Water) within Limit ---- N/A Test Report(Air) within Limit ---- N/A NMR Sumitted ---- N/A
	Recommended for grant of consent to operate. Inform to DJB regarding ground water extraction. 
	Issue consent to operate. Inform to DJB regarding ground water extraction. 

	124
	36130
	30-12-2010
	SINDHU ART PRINTING PRESS
	A-36
	NARAINA INDUSTRIAL AREA PH-II
	Orange Renewal
	Printing
	 
	CTE: Not Applied
Earlier CTO Issued valid upto 21.03.2005 vide consent order no 884 in the activity of offset printing (without using trade effluent discharged.
 CTO issued valid upto 05.01.2011 vide consent order no 15947 under Green category in the activity of printing.
Applied for CTO_R on 04.03.2005 vide ID no 12864 and same was refused on 28.12.2005 under Green category.
Plot Area:-500 sq-m
Ground Water:Nil
Trade Eff: Nil 
Domestic eff: 200 LPD
D.G Set : Nil
Year of commencement: 1972
CETP Membership: Kirti Nagar & Naraina Industrial Area, membership no 656
	Inspection be conducted.
	Inspection be conducted.

	125
	36131  
	30-12-10
	NUTECH PHOTOLITHOGRAPHERS
	B-240, PHASE-I, OKHLA INDUSTRIAL AREA
	Okhla Industrial Area
	Orange Operate
	OFFSET PRINTING WITH WASHING.
	 
	13-01-2011 : EARLIER CMC DECISION 140th Issue consent to establish. Subsequently, inspection be conducted. Ask the unit to apply for authorization under HWM Rules. 149th Ask the unit to correct the deficiencies w.r.t HWM Rules observed during the inspection and submit an affidavit in this regard. Issue SCN u/s 21/22 of the Air Act and u/s 25/26 of the Water Act for not applying consent to operate. Remarks CTE : issued on 04.06.10 Water Consumption : 2500Lt/d Waste Water generation : (a) Domestic effluent: 1800 Lt/d (b) Trade effluent: 500 Lt/d Date of Commissioning: 2004-2005 ETP : installed Test Report (Water) within limit : Yes Test Report (Air) within limit : N/a NMR submitted: yes GW : Nil DG set : 500 KVA and 300 KVA and NMR submitted dated 23.11.10. Adequacy report submitted dated July 2009 and test report submitted dated 08.12.10. CTO(Green) cancalled on 08.12.08 vide cancallation no.115. CTE(Orange) issued on 04.06.10 vide CNO 24002. Fresh authorization under HWM Rule applied on 28.07.10 vide ID 0320. Letter issued to the unit to correct the deficiencies w.r.t HWM Rules observed during the inspection and submit an affidavit on 27.10.10 SCN u/s 21/22 
of the Air Act and u/s 25/26 of the Water Act for not applying consent 
to operate issued on 27.10.10. Unit submitted its reply on 
19.11.10.
	Recommended for grant of consent to operate and authorization under HWM Rules.
	Issue consent to operate and authorization under HWM Rules.
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	ATR / Remarks
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	1
	26114
	19-06-2008
	YOGI RAJ PROMOTERS PVT. LTD (COMMERCIAL CUM MULTIPLEX PROJECT
	PLOT NO SU, SECTOR-22, ROHINI
	NC-NW
	Commercial cum Multiplex Project 
	25.03.2009
Ask the unit to submit tree cutting permission. Call on 05.05.2009
                          06.05.2009
Call on 12.06.2009
                           12.06.2009
Issue final reminder. Call on 05.08.2009
16.04.2010
Inspection be conducted.
	Final reminder to file tree cutting permission issued on 30.06.09.
Reply awaited.
Inspection conducted on 10.02.2011
Observation:
1.Plot found vacant. No construction observed. 
2. One handpump exists.
3. Only two tree stem about seen besides 20-22 nos of bushes about 3' to 5'-6' ht
	Ask the unit to submit tree cutting permission from Forest Deptt. Inform to DJB regarding ground water extraction. 
	Ask the unit to submit tree cutting permission from Forest Deptt. Inform to DJB regarding ground water extraction. 

	2
	35376
	12-10-2010
	SHIV SHAKTI PLASTIC
	E-694, BASEMENT, DSIDC
	NARELA INDUSTRIAL AREA
	Mfg. of rexine waste grinding and plastic dana.
	03.11.2010. As approved by Competent Authority closure directions sent to the unit on 12.11.2010.
03.08.2010 As approved by Competent Authority  SCN for closure u/s 31 (A) sent to unit on 07.09.2010.
Direction for closure issued on 12.11.2010.
25.11.2010
Seek compliance of the closure orders from the concerned agencies. 
	Relpy received on 04.10.2010.
Year Of Establishment:may 2010
Plot area:350 mtrs.
Reply Received on 12.10.2010
BG submitted on 23.12.2010
Revocation of closure direction on 23.12.2010
	Recommended for grant of consent to establish.
	Issue consent to establish.

	3
	_
	_
	P.C Farm
	opp. Bhartiyam farm house
	BAKAULI, PALLA BAKHTAWARPUR
	farm house cum party lawn
	Inspection conducted on 23.11.2010
As approved by Competent Authority  SCN for closure u/s 31 (A) of air act and 33(A) of water act sent to unit on 31.01.2011.
	Reply along with affidavit received on 13.01.2011
	Seek report from concerned Dy. Commissioner, MCD regarding commercial use of farm house.
	Seek report from concerned Dy. Commissioner, MCD regarding commercial use of farm house.

	4
	30605
	07-07-2009
	MAHA GAURI STEEL
	A-14, GROUP
	WAZIRPUR INDUSTRIAL AREA
	S.S utensils with buffing
	12.05.2010
Ask the unit to submit Bank Guarantee of Rs. 50,000 under Air Act valid for one year in view of hiding the buffing activity while seeking consent under Green category. If unit submits the Bank Guarantee, consent to establish will be issued. 
	Inspection conducted on 26.10.2010.
SCN u/s 31(A) of the Air Act issued on 28.12.2010
Unit has submitted Bank Guarantee of Rs. 50,000 on 17.08.2010
Unit has submitted its reply along with affidavit on 12.01.2011stating that they have rectified all the deficiencies observed during the inspection. 
	Consent to establish be issued in consonence with the decision of CMC(Orange) dated 12.05.2010.
	Implement the decision of CMC(Orange) dated 12.05.2010 for issuance of CTE
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	1
	Online submitted
	_
	J.P. Plastic
	Plot No 86, Pocket-B, Sector-1, DSIDC
	Bawana Industrial Area
	PVC Compound
	_
	Plot area : 150 sqm
Built up area : 90 sqm
Date of commencement : 01.04.2011
File received through online. However, unit has not submitted the hard copy of requisite documents in DPCC.
	Ask the unit to submit hard copies of the requisite documents so that consent application be processed.
	Ask the unit to submit hard copies of the requisite documents so that consent application be processed.


