Minutes of the 143rd meeting of the Committee Constituted for Deciding the Consent under Orange Category, held on 16.06.2010 in the Conference Room of Chairman, DPCC.

   The following persons attended the meeting:

Sh. Dharmendra, Chairman, DPCC

Dr. A.K.Ambasht, Member Secretary, DPCC

Prof. S. K. Gupta, IIT-Delhi

Sh. M. Dwarakanth, SSO, Dept. of Env,. GNCTD 

EEs of CMC –  I, II, III & IV.


AEEs of CMC – I, II, III & IV.


Sh. B. Kumar, SEE, DPCC could not attend the meeting.

Following decisions were taken in the said meeting:- 

Agenda Item No. 1- Personal Hearings.  

(i) M/s Subhash Chand Jain, B-40, Group, Wazirpur Industrial Area, Delhi-52

Sh. Subhash Chand Jain owner of the unit M/s Bhalla Hosiery Enterprises appeared today in response to the notice dated 09.06.2010 with respect to the High Court case. Sh. Subhash Chand Jain informed that he has two units M/s Bhalla Hosiery Enterprises and M/s Bhalla Hosiery Factory. He is not running M/s Bhalla Hosiery Factory, however, he further told that he do not do any pickling activity in the premises and already applied for consent to establish and consent to operate for M/s Bhalla Hosiery Enterprises. He was asked to produce the documents related to the activity carried out in the unit but he said that he has not brought any document.  He said that he gets its pickling activity done from outside but on asking that from where he gets it carried out, he changed his earlier stand and said that he is not getting the pickling carried out even from outside. The inspection report dated 29.01.2.010 shows that facility of pickling was available in the premises. In response to the SCN, the unit has confirmed that they are not carrying out any pickling activity and same was not found during the inspection dated 03.05.2010. 

In view of present inspection report, unit be asked to submit Bank Guarantee of Rs. 50,000 each under Air act, Water Act and HWM Rules valid for one year before 30.06.2010, failing which, closure order be issued. 

(ii) M/s Naresh Jain, B-41, Group, Wazirpur Industrial Area, Delhi-52

Sh. Subhash Jain appeared in the response to the notice dated 09.06.2010; he informed that he is running the unit since last one year by the name M/s Subhash Re-rolling. He said that he has already replied to the notice dated 13.05.2010 but the same has not been received by the department. The unit could not submit any proof of submission of the reply. Fresh inspection report dated 03.05.2010 also confirms the presence of empty tank which is not required at all in the process being claimed by the unit. The earlier report in this regard also confirms presence of the pickling equipments though not found in use at the time of inspection. In view of the inspection dated 03.05.2010, unit be asked to submit Bank Guarantee of Rs. 50,000 each under Air act, Water Act and HWM Rules valid for one year before 30.06.2010, failing which, closure order be issued. 

(iii) M/s Rajesh Singhal, B-22, Group, Wazirpur Industrial Area, Delhi-52

Sh. Mukesh Singhal proprietor of M/s Akash Industries appeared in the response to the notice dated 09.06.2010. He was asked about the inspection report dated 29.01.2010, Sh. Singhal denied the presence of pickling activity. The recent report dated 01.05.2010 does not show any pickling activity. The proprietor could not produce any proof of not carrying out the pickling activity nor he could prove the non existence of pickling facility in the unit as on 29.01.2010. Though, it is correct that he is not carrying out the pickling as on date but the observations of previous inspection report dated 29.01.2010 cannot be denied. In view of above, unit be asked to submit Bank Guarantee of Rs. 50,000 each under Air act, Water Act and HWM Rules valid for one year before 30.06.2010, failing which, closure order be issued. 

(iv)  M/s Satpal, B-28, Wazirpur Industrial Area, Delhi-52

The unit did not come for personal hearing today. The inspection report dated 0.05.2010 reveals that no pickling carried out, premises lying vacant. Satpal was the tenant and he has left the premises.File be put up administratively. 

(v) M/s Shyam Kumar, B-68/1, Wazirpur Industrial Area, Delhi-52

Sh. Kishore Bansal appeared in response to the notice issued to M/s Shyam Kumar. He said that he has replied to the notice in the name of M/s Shyam Kumar as notice was in the name of M/s Shyam Kumar. He further told that there was a unit by name of M/s Riya Steel owned by Sh. Ram Bansal and later on the same was purchased by Sh. Naveen Kumar who runs the unit by name of M/s Shree Balaji Steel. He further told that he is the brother of Sh. Naveen Kumar and he has not brought any authorization for appearing before the committee. He further did not submit any letter from the unit to prove that what is the type of the unit is being run and the permissions granted thereof. He further told that he has applied for consent to establish on 31.05.2010 by the name of M/s Shree Balaji Steel. He also confirmed that pickling was being done till February, 2010 and after that it has stopped. The inspecting team found pickling activity on 01.05.2010 but he contradicted by saying that there was no pickling activity on that day and being a labour day no work was being carried out. In the reply of SCN dated 13.05.2010, they have confirmed that pickling was carried out upto 05.03.2010 and they later on stopped carrying out the activity. In the reply, they also alleged that DPCC has not taken action in a time bound manner. Since, unit was carrying out pickling activity earlier which was reconfirmed on 01.05.2010 and the reply of the unit also shows the intention of the unit that it is not ready to comply with the directions of court and DPCC, consent application dated 31.05.2010 in the name of M/s Shree Balaji Steel be made infructuous and closure order be issued directing NDPL / DJB for disconnection of electricity / water supply of the unit and to MCD for cancellation of the MCD licence. 

(vi) M/s Naresh Kumar, A-64, Group (backside), Wazirpur Industrial Area, Delhi-52 and 
(vii)  M/s Narendra Aggarwal, A-64, Group (frontside), Wazirpur Industrial Area, Delhi-52

Sh. Narender Aggarwal appeared on behalf of A-64 (backside) and (front side) both. He said that there is only one unit at the ground floor in the name of M/s Vishal Industries run by his wife Mrs. Veena Aggarwal. He further said that unit at 1st floor is in the name of M/s Batra Industries which is run by him. He also submitted authorization on behalf of Mrs. Veena Aggarwal. He said that at the ground floor, there is no activity except re-rolling and there is no pickling activity. He further told that he has not received any notice dated 13.05.2010 so there was no question of replying the notice. The inspection report says that there are two units on the ground floor and both the units are engaged in pickling observed during the inspection dated 29.01.2010 and 20.04.2010. The units were inspected by EE and AEEs on 20.04.2010 and they found pickling on both the sides of the unit at ground floor. They further told that no responsible person of the unit was available for signature on the inspection report.

In view of the above, closure direction for the ground floor (complete) is confirmed directing NDPL / DJB for disconnection of electricity / water supply of the unit and to MCD for cancellation of the MCD licence.  Decision taken dated 12.05.2010 w.r.t. consent to establish be reviewed and consent to establish and consent to operate w.r.t M/s Vishal Industries be refused. 

(viii) Sh. Bishwnath, B-9 (backside), Group, Wazirpur Industrial Area, Delhi-52

Sh. Bishwnath appeared in the response to the notice dated 09.06.2010; he informed that he is running the unit and engaged in the activity of cold re-rolling of SS sheets for which he has applied for consent to establish. Inspection report dated 01.05.2010 confirms the presence of cold re-rolling activity (without pickling).The earlier inspection report dated 01.02.2010 confirms presence of the pickling equipments though not found in use at the time of inspection. Since, no document could be produced by the owner to nullify the observations of inspection dated 01.02.2010, unit be asked to submit Bank Guarantee of Rs. 50,000 each under Air act, Water Act and HWM Rules valid for one year before 30.06.2010, failing which, the closure order will be issued. 

(ix) Sh. Ish Kumar, B-21, Wazirpur Industrial Area, Delhi-52

Sh. Ish kumar appeared in response to the notice dated 09.06.2010. He said that earlier he has applied for consent in the name of M/s JMD Industries for pickling activity which was refused and again he has applied for consent on 23.02.2010 for the rolling activity only. He said that facility of pickling has been disposed of partly and partly lying in the unit. The inspection team observed pickling activity on 01.02.2010 and 01.05.2010. In view of the inspection carried out on 01.05.2010, the closure directions be confirmed directing NDPL / DJB for disconnection of electricity / water supply of the unit and to MCD for cancellation of the MCD licence.

(x) M/s. Asha Farm House, Palla- Bakhtawarpur Road, Delhi-110036

Sh. Bijender Mann representative of the unit appeared today in response to the directions. He was called in view of the request made by him. He confirmed that he will not operate the lawn without putting proper Effluent Treatment Plant (ETP). He further confirmed that D.G. Set has been provided with acoustic enclosure and stack height will be increased and will complete all the works within 10 days. Unit should confirm the completion of the work and also submit an affidavit that he will not operate without installation of functional ETP and submit Bank Guarantee of Rupees One Lakh each under Air Act and Water Act valid for one year within 10 days. If, it does so, closure directions dated 17.03.2010 be revoked. This should be done without waiting for the minutes.
. 

Agenda Item No. 2- Fresh Consent to Operate / Renewal cases w.e.f. 01.04.2010 considered by Scrutinizing Committee on 18.05.2010/19.05.2010/20.05.2010.  

This agenda could not be taken up by the Committee, due to paucity of time, and it was decided to take up the same in the next meeting.

Agenda Item No. 3- Special Reference Cases considered by Scrutinizing Committee on 18.05.2010/19.05.2010/20.05.2010.

Decisions taken with respect to this agenda are tabulated and annexed as Annexure – 1. 

Agenda Item No. 4- Cases processed administratively for putting up in CMC considered by Scrutinizing Committee on 18.05.2010/19.05.2010/20.05.2010.

Decisions taken with respect to this agenda are tabulated and annexed as Annexure – 2. 

Agenda Item No. 5- Inspection conducted by CMC-III in compliance of earlier CMC's decisions considered by Scrutinizing Committee on 18.05.2010/19.05.2010/20.05.2010.

Decisions taken with respect to this agenda are tabulated and annexed as Annexure – 3. 

Agenda Item No. 6- The cases which were directed to put up in next CMC. 

Decisions taken with respect to this agenda are tabulated and annexed as Annexure – 4. 

Table Agenda Item: 1 : D.D. Motors (Division of D.D. Industries Ltd.), A-1, Udyog Nagar Industrial Area, Delhi

Ask the unit to submit Bank Guarantee of Rupees One Lakh each under Air Act, Water Act and HWM Rules valid for one year. If unit submits the Bank Guarantee, closure directions be revoked.
Table Agenda Item: 2 : Oriental Structural Engineers Pvt. Ltd., DIAL Project, Terminal-3 & Associate works, IGI Airport, Delhi

Unit submitted reply dated 19.05.2010. Issue consent to operate valid for eight months w.e.f. the date of issue of consent to establish. 

Table Agenda Item: 3 : Standard Enamel Works Pvt. Ltd., D-40, SMA Industrial Area, New Delhi
Issue consent to operate.

Table Agenda Item: 4 : DIAL, IGI Aiport Complex,New Delhi
Issue consent to operate and inspection be conducted in first week of July, 2010 regarding installation of wet scrubber.
Table Agenda Item: 5 : Laxmi Buildtech Pvt. Ltd., Plot No D-1A & P3-A, Saket Place, Delhi

Whenever the matter comes in the court, the report may be apprised to the court.

Table Agenda Item 6:- Processing of Consents in Non Conforming Notified Clusters of Industrial Concentration in Delhi. 

The matter and related issues were discussed and following decisions were taken:-

(i)Policy regarding “processing of Consents in Non Conforming Notified Clusters of Industrial Concentration in Delhi ‘proposed in the Agenda was approved including “Terms and Conditions” except point No. 5 of the proposed policy regarding seeking an affidavit from the unit for its existence within the boundary of the area of notified clusters.   

(ii)It was decided that consent shall be granted only to existing units which had earlier obtained Consent from DPCC. Cases of Consent for renewal shall be taken initially and thereafter cases of Consent to Operate which have already taken Consent to Establish from DPCC shall be taken. No Consent to Establish shall be granted in these areas.

(iii) Consent shall be granted for one year period for both Orange & Green Category units.

(iv) The Cases of these areas shall be placed before same Committees, CMC (Orange) & CMC (Green)  for decisions in individual cases, however separate Agenda shall be prepared by PGRC . 

(v) It was decided that aforementioned decisions taken by CMC shall be placed before DPCC in its next Board meeting for the approval before taking further action in the matter.   

Table Agenda Item 7:- Negolic India Ltd. (proposed residential complex named Victoria Garden at Ring Garden at Ring Road Azadpur), F-34, 2nd Floor, Harsh Bhawan, Cannught Circus.
Even though the legal opinion is not advising for filing prosecution but in view of serious reservation expressed by some of the members of CMC for sticking to the decision taken in the earlier meetings for filing prosecution, the Committee agreed to go by the decision to file prosecution.  The decision be communicated to the appellant. 
Meeting ended with thanks to the chair.

	1
	29304
	19.03.2009
	Kamal Rub Plast Industries Pvt. Ltd.
	308/1, Old Rohtak Road
	Shahzada Bagh Industrial Area
	Mfg. of Rubber Auto parts and rubber goods
	 
	BUA :  375 Sq. m
GW: 3700 lit/day
Water Consumption :3700 Llt/day
Waste Water generation : 
(a) Domestic effluent: 800 ltr/day
(b) Trade effluent: 2900 lit/day
Date of Commissioning: 1985.
CTO issued on 08.07.03. Expired on 16.01.06.
CTR issued on 12.09.06. Expired on 16.01.09.
Applied for CTR on 19.03.09.
A representation received from the unit on 06.04.2010 regarding the delay in receiving the consent order.
	Inspection be conducted.
	Case be considered after implementation of decision of Scrutinizing Committee.

	2
	31328
	03-09-2009
	KAY AAR INDUSTRIES
	PLOT NO. 19/239, SARAI BASTI
	SHAHZADA BAGH INDUSTRIAL AREA
	Rubber compounding for mfg of rubber autoparts
	07.10.2009
Refer to DJB for ground water extraction.

25.01.2010
DJB has informed that no application has been received. Unit be asked to submit the permission from DJB for groud water extraction within 1 month.
	Letter issued on 25.02.2010 to submit the permission from DJB for ground water extraction. Unit has submitted a representation on 26.02.2010 staing that they have applied to DJB for permission and had enclosed photocopy of the form subnmitted to the DJB.
Same representation was again received on 15.05.2010.
	Inspection be conducted.
	Case be considered after implementation of decision of Scrutinizing Committee.

	3
	28582
	05.01.09
	Delhi Transport Corporation
	Peera Garhi Depot
	NC-W
	Repair & Maintenance Washing only for DTC buses
	 
	CTO & CTR issued valid upto 22.12.08
Applied for renewal of authorization 20.01.09
TRAde Eff: 13.7 KLD Adequacy dated jan., 2004 submitted.
DG set: 60 KVA NMR dated 29.12.08 submitted
GW: 13.7 KLD
Depot Manager submitted a representation dated 29.03.2010 regarding renewal of consent & authorization.
	Recommended for grant of renewal of consent. Ask the unit to apply for fresh authorization under HWM Rules. Inform to DJB for ground water extraction. 
	Issue renewal of consent. Ask the unit to apply for fresh authorization under HWM Rules. Inform to DJB for ground water extraction. 


	S. no.
	Unit Name
	Address
	Activity
	Status of Consent
	Earlier CMC Decision
	Obervation of Inspection
	ATR/ Remarks
	Recommendations of Scrutinizing Committee on 18.05.2010/19.05.2010/20.05.2010
	Decision on 16.06.2010

	4
	Vikram Farm
	M.G. Road, Sultanpur, Near Metro Station.
New Delhi-30
	Farm house with banquet party lawn
	Consent not applied
	12.02.2010 / 15.02.2010

Issue directions u/s 31(A) of the Air Act and u/s 33(A) of the Water Act with emergency clause for closure of the unit, cancellation of MCD permission, disconnection of electricity / water supply to the unit and to SDM for taking necessary action for effective closure of the unit and operation of D.G. Set. 
	1.Waste food is disposed off to MCD dustbin.
2.Liquid Waste in a pit.
3.Two numbers of borewell exist for use.
4.Kitchen waset water was seen into the open drain infront of the unit.
5.No STP is installed by the unit only storage tank is made.
6.DG Set are taken on rent without acoustic enclosures and inadequate stack height.
7.Domestic and trade effluent is discharged into drain.
	Directions of closure were issued to the unit on 07.04.10.

Unit has submitted its representation on 21.04.10 for revocation of directions issued, wherein it has been stated on an affidavit that:-
1. on 03.02.10, preparations were going on at my farm for the marriage of son Mr. Arjun Abbi. Invitation card of the said marriage is enclosed.
2. There is no such activity at my farm which would gave effect of polluting the environment in any manner.
3. No commercial activity was going on in my farm on 03.02.10 or on any other date. Farm is utilized for family functions only. There is no commercial utilization as such.
4. Even in family functions all care and precautions is taken from the point of preventing pollution of any sort and i undertake to take all such precautions in future also.
5. Aforesaid farm is not utilized for any commercial purpose.
	Ask the unit to submit Bank Guarantee of Rupees One Lakh each under Air Act and Water Act valid for one year. After submission of Bank Guarantee, inspection be conducted. 
	Random inspection be conducted and the local enquiry be also carried out. 


	Sl. No 
	ID No
	appl_dt
	firm_name
	firm_address
	area_name
	Activity
	Earlier CMC decision
	ATR / Remarks
	Recommendations of Scrutinizing Committee on 18.05.2010/19.05.2010/20.05.2010
	Decision on 16.06.2010

	1
	32725
	09-02-2010
	DELHI FOUNDERS INDUSTRIES
	PLOT NO B-37/C
	JHILMIL INDUSTRIAL AREA
	Casting of machinery parts and Components by Pit furnace
	16.03.2010
Inspection be conducted within 10 days and file be put up administratively without waiting for minutes.
	BUA :  500 Sq. m
GW: Nil
Water Consumption :
200 Llt/day
Waste Water generation : 
(a) Domestic effluent: 50 ltr/day
(b) Trade effluent: Nil
Date of Commissioning: 115.03.2010 (Proposed)

CTO granted on 22.09.2003. Expired on 23.09.2006.
Applied for CTR on 13.04.2006.
Applied for CTE on 09.02.2010
 Authorization under HWM Rules issued on 27.08.2004.
Inspection conducted on 25.03.2010. Report to be disscussed.
	Ask the unit to remove the cupola furnace from the premises and confirm on an affidavit before grant of CTE for new activity. 
	Ask the unit to remove the cupola furnace from the premises and confirm on an affidavit  within 15 days followed by inspection before grant of CTE for new activity. 

	2
	28705
	19.01.2009
	APEX AUTOMOBILES
	PLOTNO. 470, FIE
	PATPARGANJ INDUSTRIAL AREA
	Servicing & Repairing of two wheeler vehicles
	21.12.2009/22.12.2009: 
Re-inspetion be conducted w.r.t ground water drawl.

12.02.2010/15.02.2010:
Notice u/s 5 of EPA w.r.t discrepancies like low generation of wet sludge etc. observed under HWM Rules. Letter to DJB to inform about non-existence of borewell.
	Notice u/s 5 of EPA issued on 18.03.2010.
	Ask the unit to apply fresh authorization under HWM Rules.
	Case be considered after implementation of decision of Scrutinizing Committee.

	3
	32726
	09-02-2010
	DELHI CASTINGS PVT. LTD.
	PLOT NO B-37/A
	JHILMIL INDUSTRIAL AREA
	Casting of Machinery parts and Components by Pit furnace
	16.03.2010
Inspection be conducted within 10 days and file be put up administratively without waiting for minutes.
	BUA :  90 Sq m
GW: Nil
Water Consumption :
200 Llt/day
Waste Water generation : 
(a) Domestic effluent: 50 ltr/day
(b) Trade effluent: Nil
Date of Commissioning: 15.03.2010 (proposed)

Applied for CTR on 07.04.2005  for the activity of casting through cupola furnace.
Applied for CTE on 09.02.2010

Applied for renewal of Authorization under HWM Rules on 04.08.2006.
Inspection conducted on 25.03.2010. Report to be disscussed.
	Ask the unit to remove the cupola furnace from the premises and confirm on an affidavit before grant of CTE for new activity. 
	Ask the unit to remove the cupola furnace from the premises and confirm on an affidavit  within 15 days followed by inspection before grant of CTE for new activity. 

	4
	32629
	02-02-2010
	DELHI FOUNDERS (REGD)
	PLOT NO B-37/B
	JHILMIL INDUSTRIAL AREA
	Casting of Components by Pit furnace
	16.03.2010
Inspection be conducted within 10 days and file be put up administratively without waiting for minutes.
	BUA :  150 Sq. m
GW: Nil
Water Consumption :
200 Llt/day
Waste Water generation : 
(a) Domestic effluent: 50 ltr/day
(b) Trade effluent: Nil
Date of Commissioning: 10.02.2010 (Proposed)

Applied for CTR on 11.04.2005 for the activity of casting through cupola furnace.
Applied for CTE on 02.02.2010

Applied for renewal of Authorization under HWM Rules on 11.08.2006.
Inspection conducted on 25.03.2010. Report to be disscussed.
	Ask the unit to remove the cupola furnace from the premises and confirm on an affidavit before grant of CTE for new activity. 
	Ask the unit to remove the cupola furnace from the premises and confirm on an affidavit  within 15 days followed by inspection before grant of CTE for new activity. 

	5
	31147
	19-08-2009
	SAWHNEY RUBBER INDUSTRIES
	B-1 & 2
	JHILMIL INDUSTRIAL AREA
	Mfg of tyre & tubes  (rubber products)
	13.11.09
Take opinion of our advocate of Surpreme Court and put up the file administratively.
	Unit has submitted application for CTO (R) on 31.08.06. Case was taken up by CMC(O) in its meeting held on 03.04.2008 and it was decided that the unit is operating in a trade which is not permited as per MPD-2021. This fact needs to be brought before Hon'ble Supreme Court to ensure that any exclusion provided to the unit is not discriminatory and is not unfair to all other units which are closed down. M.S. to hire the standing Delhi Govt. Counsel in Hon'ble Supreme Court and file a petition on behalf of DPCC to close down this unit. All previous files/ reports are with legal cell of DPCC. Now, unit has again submitted application for renewal of consent on 19.8.09.  Earlier unit was categorized by an order of Supreme Court dated 08.07.1996, as a 'H' category, as it voilate the MPD-2001. thereafter, the Supreme Court, by an order dated 03.11.1999, decategorized the activity from the 'H' category and  permissible category of 'F' which could run and operate in Delhi.
A legal opinion was obtained from Sh. Devendra N. goburdhun , 
Advocate in the Supreme Court. The councel has given opinion as 
follows :-(i) The Supreme Court by an order dated 3.11.1999 itself, 
de-categorized Sawhney & Co. from the prohibited category of "H' into permissible 
category of 'F' which could run and operate in NCT of Delhi. Any industry in category 
F can run and operate fully only in an industrial area, which has been set up by 
Govt. of NCT of Delhi. (ii) As it appears, the production of tyre and tube by 
Sawhney & Co. is not by the process of Devulcanisation which is prohibited under MPD-2021, 
the same would be considered as permissible to run and operate in NCT of Delhi. 
	To be discussed in CMC meeting.
	Opinion of the advocate may again be sought specifically w.r.t. the provisions of  MPD-2021 regarding permissibility of the activity.

	6
	32518
	21-01-2010
	THE BOILER COMPONENT MANUFACTURING CO
	PLOT NO-119, POCKET-P, SECTOR-5, DSIDC
	BAWANA INDUSTRIAL AREA
	Mfg of boiler components includings economizers, super heaters, their coils & boiler tubes etc which comes with in the preview of engg works
	16.03.2010
Inspection be conducted within 10 days and file be put up administratively without waiting for minutes.
	Applied for CTO on 21.01.2010.
Inspection conducted on 18.03.2010. Report to be disscussed.
	Consent be refused as the activity is  listed in negative list.
	Consent be refused as the activity is  listed in negative list and issue effective closure.

	7
	32474
	18-01-2010
	B.M. RECYCLERS
	O-132, SECTOR-3, DSIDC
	BAWANA INDUSTRIAL AREA
	e-Waste recycling
	16.03.2010
Inspection be conducted within 10 days and file be put up administratively without waiting for minutes.
	Inspection conducted on 18.03.2010. Report to be disscussed.
	Consent be made infructuous w.r.t. M/s B.M. Recyclers. Issue SCN u/s 21/22 of the Air Act and u/s 25/26 of the Water Act to M/s Surya Dev Energy Solution.
	Consent be made infructuous w.r.t. M/s B.M. Recyclers. Issue SCN u/s 21/22 of the Air Act and u/s 25/26 of the Water Act to M/s Surya Dev Energy Solution.

	8
	32901
	23-02-2010
	KHERA MOTORS
	H-1381, DSIDC
	NARELA INDUSTRIAL AREA
	Mfg of Plastic dana
	23.03.2010
Issue renewal of consent.
	CTE granted and valid up to 07.10.2003
CTO granted and valid up to 02.02.2007.
CTR applied on 02.02.2007
Using plastic scrap waste as raw material. 
File put up administratively  to review the CMC's decision dated 23.03.2010 as earlier unit has obtained consent for activity of mfg. of pvc house hold items valid upto 02.02.2007. Further apllied for renewal on 02.02.2007 for the same activity i.e. PVC household items and again applied for renewal on 23.02.2010 for the activity of Mfg. of Plastic Dana using plastic waste / scrap as raw material.  
	Decision of CMC dated 23.03.2010 reviewed. Issue SCN for refusal of consent and SCN for closure of the unit.
	Decision of CMC dated 23.03.2010 reviewed. Issue SCN for refusal of consent and SCN for closure of the unit.

	9
	27777
	13.10.2008
	The Taj Mahal Hotel (Indian Hotel Company Ltd.)
	No 1, Man Singh Road,New Delhi
	NC-ND
	Five Star Hotel
	_
	CTO issued on 04.12.2003 valid upto 28.10.2006 and again CTO (R) issued on 20.09.2005 valid upto 28.10.2008 respectively.
Applied for renewal of consent on 13.10.2008 vide ID No 27777.
Unit has requested vide letter dated 15.01.2010 for renewal of consent.
Letter was issued to NDMC on 25.02.2010 regarding permission for ground water extraction. 
No reply received from NDMC.
File put up administraively and decided to put up in CMC.
	Recommended for grant of renewal of consent. Inform to NDMC regarding ground water extraction. 
	Issue renewal of consent. Inform to NDMC regarding ground water extraction. 

	10
	30528
	01.07.2009
	The Ambassdor Hotel
	Sujan Singh Park
	NC-ND
	Five Star Hotel
	_
	CTO issued on 29.07.2003 valid upto 08.06.2006 and again CTO (R) issued on 25.08.2006 valid upto 14.06.2009 respectively.
Applied for renewal of consent on 01.07.2009 vide ID No 30528.
Unit has obtained ISO-14001 as directed by DPCC and also having CGWA permission for ground water extraction
AR dated June, 2009 and test report submitted.
File put up administraively and decided to put up in CMC..
	Recommended for grant of renewal of consent. 
	Issue renewal of consent. 

	11
	25164
	12.03.2008
	Rajdhani Flour Mill, 
	C-32
	Lawrence Road Industrial Area
	Roller Flour Mill
	17.07.08- The unit draws 6KLD of ground water. Ask the unit to file CGWA clearance. Call on 20.08.08
21.08.08- Let the unit be informed that the payment reciept s not a CGWA clearance. Let him file the clearance by 17.09.08.
05.11.08- Call on 10.12.08 after SEE Examination on the issue of CGWA clearance.
11.12.08- Ask the unit to install Rain Water Harvesting System and get itself registered in CGWA and file the report.
12.06.09- Check the status of CGWA clearance from CGWA department.
06.08.09- Issue reminder to CGWA.
              12.02.2010
Refer to DJB for ground water extraction.
	CTO granted and valid upto 15-04-05
CTR granted and valid upto 15-04-08
GW-6KLD
Trade Effluent-NIL
No DG SET
Adequecy of ECS submitted.
As per CMC decision dated 12.02.2010, letter issued to DJB on 25.03.2010.
No reply received from DJB.
File put up administraively and decided to put up in CMC..
	Recommended for grant of renewal of consent. 
	Issue renewal of consent. 

	12
	14441
	13-06-2005
	D.D. MOTORS ( A DIV. OF D.D. INDUSTRIES LTD.)
	6
	WAZIRPUR INDUSTRIAL AREA
	Service Station with washing
	                              09.09.2009
Issue Consent to Establish and revalidation of Bank Guarantee be decided after inspection.
	As decided by CMC orange in its meeting held on 27.09.2007, unit has submitted BG of Rs. 50000 each under the Air Act, Water Act and EPA on 08.11.2007 for a period of six months
As per CMC decision dated 09.09.2009, CTE issued valid upto 27.10.10 and inspection done 04.05.2010.
The following observations were made during the inspection -
(i) Servicing & washing of vehicles was being carried out (ii) ETP was not found in operation and absence of fresh sludge indicates that ETP was not in operation for last 1-2 weeks (iii) No sludge drying beds provided to collect the sludge. (iv) Acoustic enclosure has been provided with both the D.G. Sets but stack height was inadequate. (v) No record about use of chemical used in ETP shown (vi) No records shown about the maintenance of hazardous waste. 
File put up administraively and decided to put up in CMC..
	Issue SCN for revocation of consent and SCN u/s 33(A) of the Water Act, u/s 5 of HWM Rules and u/s 31(A) of the Air Act for closure of the unit.  
	Case be considered after implementation of decision of Scrutinizing Committee.

	13
	18193
	12.05.06
	AMBIENCE DEVELOPER PVT. LTD.
	CONST. OF SHOPPING MALL AT PLOT NO.2, VASANT KUNJ, PHASE-II
	NC-SW
	Shopping Mall
	Decision on 15.05.09 :- Unit came for personal hearing in its other case listed today. In this case, unit has to give a compliance report on some of the deficiencies which were found by SIT. The unit is also supposed to provide water balance chart, a letter from DDA indicating that they will get nearly 300 KLD of waste water from Vasant Kunj STP. If, the STP is fully functional and operational as certified by Delhi College of Engineering and the entire waste water is treated and reused then the 5th category concession of 50 % of 50 % of the initial damages / Bank Guarantee will be applied. Call on 12.06.2009
Decision on 12.06.09 : Issue final reminder.Call on 05.08.09.
Decision on 06.01.2010 : Ask the unit to submit the 50 % of the 50 % of the initial Bank Guarantee and environmental damages imposed earlier immediately and to submit the proper letter from DDA regarding the supply of waste water from Vasant Kunj STP for treating in its STP in order to utilize the installed capacity of its STP immediately, failing which, the unit will not be entitled for the 50 % concession on environment damages and bank guarantee and the environmental damages and bank guarantee of remaining amount will be submitted within 15 days, failing which, closure action be initiated. 
	Unit applied for CTE under Green category on17.05.05.
As per CTE application: 
Gw: Nil
9 X 1500 KVA DG Sets prposed.
EC submitted.
STP installed.Adequacy Report of STP submitted.
Letter dated 22.05.09 issued to the unit for complaince report on defeciencies noted by SIT, to provide water balance chart and a letter from DDA indicating that unit will get nearly 300 KLD of waste water from VAsant Kunj STP.
Unit submitted its reply dated 11.06.09 including:-a) letter from DDA for providing th required amount of treated water for the Shopping Mall. 
b) copy of order for supply & providing of energy meter and flow meter for STP.
c) Water balance chart d) Stack monitoring report for 4 DG Set 1500 KVA each.Also unit sttaing that they hve dedicated one room in basement for collection & segregation 

SCN for closure issued on 18.03.2010 issued. reply received on 31.03.2010 & 17.04.2010 raising following issues 1. Calculation/ amount of Environmental damage & Bank Guarantee. 2. Format of letter to be obtained from DDA. 3. Format of Bank Guarantee. 4. Various legal issues raised in its letter dated 17.04.2010.
	Call for personal hearing.
	Call for personal hearing in next CMC.

	14
	26077
	16.06.2007
	M/s Charu Motors Pvt. Ltd.
	69/1A
	Najafgarh Road Industrial Area
	Repairng & Servicing of cars
	Decision on 30.01.09
SIT to inspect and report on all the three units which have common ETP. Call on 18.03.2009
Unit was inspected by SIT on 02.03.09, further case was taken up in CMC dated 15.06.09
Decision on 15.06.09
Ask the three unis to file DJB clearance for ground water extraction.
	CTO & CTR issued valid upto 04.04.08
Applied for renewal of Authorization under HWM Rules on 28.07.06

Unit was inspected by SIT on 02.03.09.
DG Set : 100 & 500 KVA installed. NMR submitted.
Tarde Effluent : 7.2 KLD.Common ETP of 20 KLD capacity installed. Adequacy dated October , 2007 submitted.
GW : 8 KLD

Letter dated 07.07.09 issued to the unit. Unit submitted is reply along with copy of Application to DJB for ground water extraction permission.
	Recommended for grant of consent to operate. Ask the unit to apply for fresh Authorization under HWM Rules.
Inform DJB regarding ground water extraction.
	Issue renewal of consent and authorization under HWM Rules as the unit has applied for authorization afresh. Inform DJB regarding ground water extraction.

	15
	26948
	13.08.08
	M/s Galaxy Automobiles  Pvt. Ltd.
	69/1A
	Najafgarh Road Industrial Area
	Repairng & Servicing of cars
	Decision on 30.01.09 (in the file of  M/s Charu Motors Pvt. Ltd.)
SIT to inspect and report on all the three units which have common ETP. Call on 18.03.2009

Unit was inspected by SIT on 02.03.09, further case was taken up in CMC dated 15.06.09
Decision on 15.06.09
Ask the three unis to file DJB clearance for ground water extraction.
	CTO & CTR issued valid upto 09.09.08
Applied for renewal of Authorization under HWM Rules on 28.07.06

Unit was inspected by SIT on 02.03.09.
DG Set : 100 & 500 KVA installed. (Common DG Set ) NMR submitted.
Tarde Effluent : 7.2 KLD.Common ETP of 20 KLD capacity installed. Adequacy dated October , 2007 submitted.
GW : 8 KLD

Letter dated 07.07.09 issued to the unit. Unit submitted is reply along with copy of Application to DJB for ground water extraction permission.
	Recommended for grant of consent to operate. Ask the unit to apply for fresh Authorization under HWM Rules.
Inform DJB regarding ground water extraction.
	Issue renewal of consent and authorization under HWM Rules as the unit has applied for authorization afresh. Inform DJB regarding ground water extraction.

	16
	29580
	20.04.09
	M/s Harpreet Motors  Pvt. Ltd.
	68/2
	Najafgarh Road Industrial Area
	Repairng & Servicing of cars
	Decision on 17.03.08 : Ask the unit to apply for authorization under HWM Rules
Decision on 15.10.08 : Unit has filed incomplete application without any photographs/ storage containers and display board and without agreement letter for the waste oil with the rgistered recycling agency. unit be asked to rectify the discrepencies.
Decision on 24.11.08 : Issue Consent to Establish.
Decision on 23.12.08 :SIT to inspect and report. Call on in the last week of Feb, 2009.
Unit  was inpected by SIT on 23.01.09, further case was taken up in CMC dated 25.02.09
Decision on 25.02.09 : The following defeciencies observed during the inspection:(i) Filter media should be provided in the sludge drying bed.(ii) Waste Oil should be stored on pucca platform and in covered area. (iii) Refuse material should be stored in covered area and on pucca platform.(iv) CGWA permission is to be obtained.
Ask the unit to correct the deficiencies noted by SIT.  
Decision on 23.04.09 : Ask the unit to submit full complaince on an affidavit.
Decision on 03.06.09 : Issue
 final reminder.
	CTE issued valid upto 07.12.09
Applied for Authorization under HWM Rules on 20.04.09.

Unit was inspected by SIT on 23.01.09

DG Set : 200 & 62.5 KVA installed.NMR submitted.
Tarde Effluent : 4.8 KLD. Common ETP installed. Adequacy dated March, 2009 submitted.
GW : 6 KLD

Final reminder dated 23.06.09 issued. Unit submitted is reply dated 28.04.2010 along with affidavit, photographs and copy of DJB circular dated 20.04.09 and stating that the permission for usage of bore well is not applicable for the unit as the borewell is very old.
	Recommended for grant of consent to operate. Ask the unit to apply for fresh Authorization under HWM Rules.
Inform DJB regarding ground water extraction.
	Issue consent to operate and authorization under HWM Rules as the unit has applied for authorization afresh. Inform DJB regarding ground water extraction.


	S.No
	Name of the Unit
	Adress of the unit
	Activity
	Findings of Inspection conducted on 21.10.09
	Notices issued.
	Remarks
	Recommendations of Scrutinizing Committee on 18.05.2010/19.05.2010/20.05.2010
	Decision on 16.06.2010

	17
	M/s Premium Safe Co 
	55, WHS Furniture Block,Kirti Nagar, New Delhi
	Mfg. of cupboards
	Unit was found operational and engaged in mfg. of cupboards. 
	Notice u/s 25/26 of Water (Prevention and Control of Pollution) Act,1974 amended to date and section 21/22 of the Air (Prevention & Control of Pollution) Act, 1981 as amended to date.
	Notice returned back undelivered. Notice was sent by hand through special messenger on 09.02.2010. However, occupier of the unit refused to receive the same and informed that such firm name does not exist at the said address.
Unit was again inspected by engineer trainees on 19.03.2010 and it was found that no suchfirm exist at said address, the unit  M/s Dimple iron factory is operating at the said address and engaged in the activity of Mfg. of steel furniture with phosphating and spray painting (CTO-R issued on 25.02.09 valid upto 12.05.2011). The unit has not taken any measure to control air pollution by spray painting activity. however, unit submitted its reply dated 24.03.2010 stating that they havse adopted every measurses to control air and water pollution. In view of this fact , SCN for revocation of consent may be issued to M/s Dimple iron factory.
	Issue SCN for revocation of consent to M/s Dimple Iron Factory.
	Issue SCN for revocation of consent to M/s Dimple Iron Factory, due to spray painting activity observed during inspection.

	18
	M/s Bharti Iron Company 
	56, WHS Furniture Block,Kirti Nagar, New Delhi
	Powder Coating Work
	Unit was found operational and engaged in Powder Coating Work.
	Notice u/s 25/26 of Water (Prevention and Control of Pollution) Act,1974 amended to date and section 21/22 of the Air (Prevention & Control of Pollution) Act, 1981 as amended to date.
	Notice returned back undelivered. Notice was sent by hand through special messenger on 09.02.2010. However, occupier of the unit refused to receive the same as such firm by such name does not exist at the said address.Unit was again inspected by engineer trainees on 19.03.2010 and it was found that unit is operating at the said address and engaged in powder coating work without adequate stack (stack provided only upto ground level) obtaining consent to establish/ operatae from DPCC 

In view of this fact , SCN for closure u/s 31 (A) of the Air Act may be issued to the accupier of the plot /proprietor of the unit.
	Issue SCN u/s 31(A) of the Air Act for closure.
	Issue SCN u/s 31(A) of the Air Act for closure and also issue SCN to plot occupier.


	Sl. No 
	ID No
	appl_dt
	firm_name
	firm_address
	area_name
	Proposed  Activity/ Product
	Earlier CMC Decisions  
	ATR / Remarks
	New ATR/ Remarks
	Recommendations of Scrutinizing Committee on 18.05.2010/19.05.2010/20.05.2010
	Decision on 16.06.2010

	1
	32295
	01-01-2010
	AMP MOTORS (P)  LTD.
	A-5
	MOHAN CO-OPERATIVE INDUSTRIAL AREA
	Automoblie workshop cum service station
	16.03.10
Issue Consent to Establish. Subsequently, inspection be conducted.
	1.Comencement: Jan 2010
2.Trade Effluent: 2000Lt/day, ETP proposed
3.DG: 62.5 Kva
4.GW: Nil
5. CTO not applied
	CTE issued. 
Inspection conducted and observations are:-
1. The unit is yet to be established.
2. Finishing work, installation of machinery and ETP work are in progress.
3. One bore well exist.
	Inform to DJB regarding ground water extraction.
	Case be considered after implementation of decision of Scrutinizing Committee.

	2
	32953
(Operate)
	26-02-2010
	SPIRITED AUTO CARS (I) LTD.
	A-34
	MOHAN CO-OPERATIVE INDUSTRIAL AREA
	Service Station
	23.03.10 (Operate)
Inspection be conducted for source of water.
	1.Comencement: Sep 2009, Area-1370 sq m
2.Trade Effluent: 10000 Lt/d, adequacy report dt. Nov 2009 with  effluent analysis report dt. 22.01.2010 submitted.
3.DG: One  DG of 125Kva, NMR dt.22.01.2010 submitted.
4.GW: nil
5. CTE applied on 10.08.09 vd. id. 31055. As decided in CMC of 12.05.10, CTE is to be issued.
6. Fresh HWM authorization applied on 19.03.10
	Inspection conducted and observations are:-
1. The unit has installed an ETP which was found in operational condition. However a by-pass pipe line was observed in the outlet pipe of collection tank.
2. Filterate of sludge drying bed is also being discharged directly without any treatment.
3. It was also observed that some trade effluent is being discharged directly without any treatment through sewer.
4. One bore-well exist.
5. Adeqaute stack height has not been provided with paint booth and DG Set.
6. Unit is also not complying with provisions of HWM rules.
	Issue SCN u/s 31(A) of the Air Act and u/s 33(A) of the Water Act for closure of the unit. Inform to DJB regarding ground water extraction.
	Case be considered after implementation of decision of Scrutinizing Committee.

	3
	32720
(Renewal)
	09-02-2010
	PALSON INDUSTRIES
	SHED NO 165, DSIDC, PHASE-I
	OKHLA INDUSTRIAL AREA
	Mfg. of Type-writer Ribbons
	23.03.10 (Renewal)
Inspection be conducted.
	1. Commencement year- Oct 1976
2. Trade Effluent-nil
3. D.G.Set- nil
4. G. W-nil
5. CTR(Green) granted 29.11.05 vd. Id. No. 13458. CTE under Orange not applied.  
6.Unit earlier obatined consent under green. Activity not changed and applied under orange now. 
	Inspection conducted and observations are:-
1. Unit has not properly comply with the HWM rules.
	Recommneded for grant of renewal of consent. Ask the unit to apply fresh authorization under HWM Rules and correct the deficiencies w.r.t. HWM Rules and submit an affidavit in this regard.
	Issue renewal of consent. Ask the unit to apply fresh authorization under HWM Rules and correct the deficiencies w.r.t. HWM Rules and submit an affidavit in this regard.

	4
	32330
	04-01-2010
	R.R. TRENDS PRIVATE LIMITED
	D-4/1, PHASE-II
	OKHLA INDUSTRIAL AREA
	Manufacturing of readymade garment with washing
	16.03.10 (Establish)
Inspection be conducted.
	1.Comencement: 2007
2.Trade Effluent: 100Lt/day, ETP proposed
3.DG: 180 Kva
4.GW: Nil
5. CTO not applied.
6. HWM not applied
	Inspection conducted and observations are:-
1. Unit has installed an ETP. However it was observed that it has not been operated since long as septic conditions were prevailing in various tanks of ETP.
2. No dry or wet sludge was observed.
3. No proper filter media was observed in sludge drying beds. Only gravel was observed. Filterate pipe of SDB has not been connected to collection tank.
4. Adequate stack height has not been provided with the oil fired boiler as well as DG Set.
5. One borewell exist.
	Issue SCN u/s 31(A) of the Air Act and u/s 33(A) of the Water Act for closure of the unit. Inform to DJB regarding ground water extraction.
	Case be considered after implementation of decision of Scrutinizing Committee.

	5
	32300 (Operate)
	01-01-2010
	NAVEEN ENTERPRISES
	B-91, FFC
	OKHLA INDUSTRIAL ESTATE
	Binding/ Printing/ Computer Designing
	23.03.10 (Operate)
Inspection be conducted w.r.t. printing.
	1.Comencement: Dec 2008
2.Trade Effluent: Nil
3. DG: Nil
4. CTE applied on 02.01.09
	Inspection conducted and observations are:-
1.Unit is not properly complying with HWM rules.
	Recommended for grant of consent to operate.  Ask the unit to correct the deficiencies w.r.t. HWM Rules observed during the inspection and submit an affidavit. 
	Issue consent to operate.  Ask the unit to correct the deficiencies w.r.t. HWM Rules observed during the inspection and submit an affidavit. 

	6
	32665
	05-02-2010
	VINNAMR HOSPITALITY PVT. LTD.
	35, DEFENCE COLONY MARKET
	NC-S
	Restaurants (With 80 Seats)
	16.03.10 (Establish)
Issue Consent to Establish with the condition to install ETP to meet the prescribed norms. Subsequently, inspection be conducted.
	1.Comencement: Feb 2009
2.Trade Effluent: 3 Kld, O&G installted
3.DG: 62.5 Kva
4.GW: Nil
5. CTO not applied
6.MCD license-Yes
7.Police license-Yes
	CTE issued. 
Inspection conducted and observations are:-
1. The unit has not installed ETP to treat the trade effluent generated from the process. Only oil & grease trap has been provided.
2. Adequate duct has not been provided with the channelization system of Kitchen.
3. One bore well exist.
4. Adequate stack height has not been provided with the DG Set of 62.5 Kva.
	Issue SCN u/s 31(A) of the Air Act and u/s 33(A) of the Water Act for closure of the unit. Inform to DJB regarding ground water extraction.
	Case be considered after implementation of decision of Scrutinizing Committee.

	7
	25229
	18-03-2008
	SARVAN KUMAR
	214, PHASE-III
	OKHLA INDUSTRIAL ESTATE
	Automobile repair workshop (paint both) Job work
	21.12.09/22.12.09 (Establish)
Issue Consent to Establish. Subsequently, inspection be conducted. 
	1.Year of commencement-proposed
2.Trade effluent discharge-1000lt/d
3.G.W.-nil
4.D.G.Set- nil.
5. CTO granted and valid upto 26.12.05 and CTR not applied.
6.Operating without consent
	CTE issued. 
Inspection conducted and observations are:-
1. As per lease aggreement all the plant & the machinery has been installed by the unit M/S T& T Motors Ltd and sub contractor is Sh. Sarvan Kumar.                                                                                                                                                                                                                           2.Unit found in operation and washing activity was being carried out.
3. ETP was not found in operation which is a batch type of ETP.
4. No fresh sludge was seen stored in the premises.
5. Dosing tank were missing from the ETP.
6. Sludge drying beds were not of adequate capacity to cope up with the sludge generated from the effluent.
7. Waste water from washing activity is being discharged through by-pass drain.
8.  Unit is also not complying with the provisions of HWM rules.
9. Unit M/s T& T motors is also operating at plot no. 212 OIE with waste effluent generation from washing of vehicles.
	Recommended for revocation of consnet to establish w.r.t. Sarvan Kumar.
Issue SCN u/s 31(A) of the Air Act and u/s 33(A) of the Water Act for closure of the unit to M/s T & T Motors Ltd. at the said premises.
Issue SCN u/s 21/22 of the Air Act and u/s 25/26 of the Water Act to M/s T & T Motors operating at Plot No 212.
	Revoke consent to establish w.r.t. Sarvan Kumar.
Issue SCN u/s 31(A) of the Air Act and u/s 33(A) of the Water Act for closure of the unit to M/s T & T Motors Ltd. at the said premises.
Issue SCN u/s 21/22 of the Air Act and u/s 25/26 of the Water Act to M/s T & T Motors operating at Plot No 212.

	8
	32477
	18-01-2010
	J.K. OFFSET GRAPHICS PVT. LTD.
	C-21, DDA SHED, PHASE-I
	OKHLA INDUSTRIAL AREA
	Printing
	16.03.10 (Establish)
Issue Consent to Establish. Subsequently, inspection be conducted.
	1.Comencement: Feb 2010
2.Trade Effluent: 400l t/day
3.DG: 125 Kva
4.GW: Nil
5. Earlier CTE applied on 08.10.08 in the name of M/s J.K. Offset & Packaging.
6.CTO not applied
	CTE issued. 
Inspection conducted and observations are:-
1. Unit is having ETP (batch type) and found in operation.                                                                                                                              2. Unit is complying with the HWM Rules.                                                                                                                                                     3. Unit has not submitted CTO application.
	Issue SCN u/s 21/22 of the Air Act and u/s 25/26 of the Water Act for not applying consent to operate. 
	Case be considered after implementation of decision of Scrutinizing Committee.

	9
	25691
	09-05-2008
	GAURAV PLASTIC
	B-172, DDA SHED, PHASE-I
	OKHLA INDUSTRIAL AREA
	Mfg. of Plastic Bags
	12.02.10 (Establish)
Inspection be conducted to know the present status.
	1.Year of Commencement- 20.05.08
2. G.W- Nil
3. Trade Effluent- Nil
4. D.G.Set- Nil
5. CTO not applied.
	Inspection conducted and observations are:-
1. The unit is engaged in mfg. plastic tubes from EVA granules.
2. The unit is operating in both the sheds i.e. B-172 & 173
3 Blowing machine has been installed at B-173, DDA Shed and sealing & cutting machine has been installed at shed no. B-172.

Unit has submitted its representation w.r.t. address of the unit mentioned in the CTE application.
	Ask the unit to submit proof of possession of both the premises and to submit the balance cosent fee  to be calculated on the basis of increased capital cost in view of inclusion of infrastructure facilities of B-173.
	Case be considered after implementation of decision of Scrutinizing Committee.

	10
	26146
	24-06-2008
	ORCHID ELECTRONICS
	D-10/6, PHASE-I
	OKHLA INDUSTRIAL AREA
	Storage of Batteries
	12.02.10 (Establish)
Inspection be conducted.
	1.Year of Commencement- 2008
2. G.W- Not mentioned
3. Trade Effluent- Not mentioned
4. D.G.Set- Not mentioned
5. CTO not applied.
	Inspection conducted and observations are:-
1. M/s Orchid Electronics is not existing in the premises. As, reported the unit has left the premises about six months back.
2. Presently the premises is used by office and storage purpose.
3. No industrial activity was observed in the premises.
	Consent be made infructuous.
	Consent be made infructuous.

	11
	26164
	25-06-2008
	ARUN & RAJIV PVT. LTD
	10, DSIDC SCHEME-2, PHASE-II
	OKHLA INDUSTRIAL AREA
	Offset printing
	12.02.10 (Establish)
Issue Consent to Establish. Subsequently, inspection be conducted.
	1.Year of Commencement- 1987
2. G.W- Nil
3. Trade Effluent- 100 lt/d
4. D.G.Set- 125 kva & 75 kva
5. HWM applied.
6. CTO not applied
	CTE issued. 
Inspection conducted and observations are:-
1. The unit has installed an ETP comprising of collection cum reaction tank, sludge holding tank, blower. No facility for sludge disposal i.e. filter press or SDB has been provided.
2. Only one DG Set of 125 Kva was found at site in which adequate stack height and acoustic enclosure has not been provided. As reported DG Set of 75 Kva has been sent for repair.
3. During the inspection no plate making activity was being carried. As reported, they are going to replace offset printing machine with digital printing machine.
4. Unit is not properly complying with the provisions of HWM rules.
	Issue SCN u/s 31(A) of the Air Act and u/s 33(A) of the Water Act for closure of the unit.
	Case be considered after implementation of decision of Scrutinizing Committee.

	12
	31305
	02-09-2009
	RAJINDER MOTOR WORKSHOP
	46, ZAMRUDPUR AUTO COMPLEX, NEAR N BLOCK, GREATER KAILASH-I
	NC-S
	workshop for servicing & repairing of automobile without washing
	25.01.10 (Establish)
Inspection be conducted.
	Letter issued on 28.10.09
Reply received on 23.11.09, they have submitted the DDA prespective plan, licence review receipt and trade license issued by MCD.

Fresh Authorization for HWM applied on 05.05.10
	Inspection conducted and observations are:-
1. No washing activity was observed.
2. The unit has provided a copy of letter dated 24.11.09 issued by the DDA w.r.t. conformity.
3. Unit is not complying with the provisions of HWM rules.                                                                                                                                     Now unit has submitted application for authorization under HWM Rules.
	Recommended for grant of consent to establish. Ask the unit to correct the deficiencies w.r.t HWM Rules observed during the inspection and submit an affidavit in this regard. 
	Issue consent to establish. Ask the unit to correct the deficiencies w.r.t HWM Rules observed during the inspection and submit an affidavit in this regard. 

	13
	32471
	18-01-2010
	RESTODYNE PVT. LTD
	C-29, PHASE-I
	OKHLA INDUSTRIAL AREA
	Flour Mill
	16.03.10 (Establish)
Issue Consent to Establish. Subsequently, inspection be conducted.
	1.Comencement:  feb 2010
2.Trade Effluent: nil
3.DG: nil
4.GW: nil
5. CTO not applied
AS per MCD(Assessment & Collection Department), unit is in operation since 1996
	CTE issued. 
Inspection conducted and observations are:-
1. Lots of fugitive dust emmissions were observed in the dust collection section located in the basement.
2. No pollution control devices has been provided with the channelization system/ vent pipe. Three vent pipe fitted in various section have been left in a room at roof-top from where dust emmissions were escaping in the surroundings.
3. As reported, the unit is in operation in the premises about last 3 to 4 years.
	Issue SCN u/s 31(A) of the Air Act for closure of the unit.
	Case be considered after implementation of decision of Scrutinizing Committee.

	14
	32554
	25-01-2010
	STYLE COUNCIL
	D-96, PHASE-I
	OKHLA INDUSTRIAL AREA
	Mfg. of readymade garments with washing
	16.03.10 (Establish)
Issue Consent to Establish. Subsequently, inspection be conducted.
	1.Comencement: Not mentioned
2.Trade Effluent: 3000 Lt/ day, ETP proposed
3.DG: 125 Kva
4.GW: Nil
5. CTO not applied
	CTE issued. 
Inspection conducted and observations are:-
1. Unit has installed ETP (batch type) and found in operation.
2. Unit is having one diesel fired boiler with inadequate stack height.
3. Unit is having one DG Set (125 Kva) without acoustic enclosure.
	Issue SCN u/s 21/22 of the Air Act and u/s 25/26 of the Water Act for not applying consent to operate. Also ask the unit to provide the adequate stack height of diesel fired boiler and provide acoustic enclosure with the D.G. Set. 
	Case be considered after implementation of decision of Scrutinizing Committee.

	15
	32662
	04-02-2010
	BEST BAKERS TOWN PVT. LTD.
	A-281, PHASE-I
	OKHLA INDUSTRIAL AREA
	Production of Bakery and confectionary items
	16.03.10 (Establish)
Issue Consent to Establish. Subsequently, inspection be conducted.
	1.Comencement: Nov 2009
2.Trade Effluent: 500 Lt/day, ETP proposed
3.DG: Nil
4.GW: 1500 Lt/day
5. CTO not applied
	CTE issued. 
Inspection conducted and observations are:-
1. The unit has not installed ETP and the trade effluent generated from the process is being discharged directly into the sewer without any treatment.
2. No stack/ duct has been provided with the diesel fired ovens.
3. A namkeen mfg. plant is also being installed at IInd floor of the premises.
4. One borewell exists
	Issue SCN u/s 31(A) of the Air Act and u/s 33(A) of the Water Act for closure of the unit. Inform to DJB regarding ground water extraction.
	Case be considered after implementation of decision of Scrutinizing Committee.

	16
	25180
	13-03-2008
	BOUTIQUE INTERNATIONAL PVT. LTD
	D-14/1, PHASE-II
	OKHLA INDUSTRIAL AREA
	Mfg. of Readymade garments
	
21.12.09 (Establish)
Unit has applied for CTO. Issue Consent to Establish. Subsequently, inpsection be conducted.
	1.Year of commencement-2008(misprint in address)
2.Trade effluent discharge-2350lt/day, ETP proposed.
3.G.W column not filled up
4.D.G.Set-  200 kva, NMR  submitted.
5. CTO applied.
	CTE issued. 
Inspection conducted and observations are:-
1. ETP is not commissioned yet in the unit.
2. Entire trade effluent is discharged without any treatment 
3. Sludge from (their sister concern at D-5/1) is also being stored at this premises without information.
4. Acoustic treatment (but partial) has been provided with DG Set of 125 Kva
	Issue SCN u/s 31(A) of the Air Act and u/s 33(A) of the Water Act for closure of the unit.
	Case be considered after implementation of decision of Scrutinizing Committee.

	17
	32829
	17-02-2010
	BEST LABORATORIES PVT. LTD.
	C-53, PHASE-II
	OKHLA INDUSTRIAL AREA
	Mfg. of Drugs, Medicines & Pharamceuticals
	23.03.10
Inspection be conducted
	1.Comencement: 2005, Area-15000 sq ft.
2.Trade Effluent: 2000 Lt/d, adequacy report dt. Dec 2009 with  effluent analysis report dt. 05.02.2010 submitted.
3.DG: 200 kva, NMR dt. 31.08.09
4.GW: Nil
5. HWM applied on 15.03.10.
6. CTE granted on 19 02.04. CTO applied on 08.11.06 vd. id. 19719 and agian CTO applied on 17.02.10 vide ID no. 32829 .
6. As per old consnet record two different units M/s Best Laborataries Pvt. Ltd and ATS (Unit-II). However common adequacy report submitted. Third name is M/s Solrex Pharmaceutical company.
	The unit was conducted on 15.05.10 and it was observed that unit has installed a common ETP with M/s Analytical Testing Services (unit II) of the same premises which was found in operation. The unit is not complying with the HWM Rules w.r.t. point 18 (e), (f) & (g) of inspection report. The unit is also having one borewell.
	Recommended for grant of consent to operate. Ask the unit to correct the deficiencies w.r.t HWM Rules observed during the inspection and submit an affidavit in this regard. Inform to DJB regarding ground water extraction.
	Issue consent to operate. Ask the unit to correct the deficiencies w.r.t HWM Rules observed during the inspection and submit an affidavit in this regard. Inform to DJB regarding ground water extraction.

	18
	32791
	15-02-2010
	ANALYTICAL TESTING SERVICES UNIT-II (UNIT OF SOLREX PHARMACEUTICALS COMPANY)
	C-53, PHASE-II
	OKHLA INDUSTRIAL AREA
	Testing of Medicine
	23.03.10
Inspection be conducted to know the name of the unit exactly functioning there.
	1.Comencement: Aug 2009
2.Trade Effluent: 3000Lt/day. AR submitted
3.DG: Two DG of 380 Kva and 60 Kva each. NMR submitted
4. CTE applied on 20.03.09. As decided in CMC on 07.05.10, CTE is to be issued.
5. HWM applied on 15.03.10
As per old consnet record two different units M/s Best Laborataries Pvt. Ltd and ATS (Unit-II). However common adequacy report submitted. Third name is M/s Solrex Pharmaceutical company.
	The unit was conducted on 15.05.10 and it was observed that unit has installed a common ETP with M/s Best Laboratories Pvt Ltd. of the same premises which was found in operation. The unit is not complying with the HWM Rules w.r.t. point 18 (e), (f) & (g) of inspection report. The unit is also having one borewell.
	Recommended for grant of consent to operate. Ask the unit to correct the deficiencies w.r.t HWM Rules observed during the inspection and submit an affidavit in this regard. Inform to DJB regarding ground water extraction.
	Issue consent to operate. Ask the unit to correct the deficiencies w.r.t HWM Rules observed during the inspection and submit an affidavit in this regard. Inform to DJB regarding ground water extraction.

	19
	32656
	04-02-2010
	NATH MOTORS PVT. LTD.
	A-30
	MOHAN CO-OPERATIVE INDUSTRIAL AREA
	Car washing & Servicing
	16.03.10
Issue Consent to Establish. Subsequently, inspection be conducted.
	1.Comencement: Mar 2010
2.Trade Effluent: 15 Kld
3.DG: Two DG of 82.5 Kva each
4.GW: Nil a sper CTE but in the affidavit souce of water mentioned as Corporation or ground water
5. CTO not applied
6.HWM not applied
	The unit was conducted on 13.05.10 and it was observed that the unit has installed an ETP (Batch Type) which was found in operation. The unit is not complying with HWM Rules w.r.t. point 18 (g) & (h) of the inspection report. One borewell exist. The unit has applied to GGSIU on 07.05.10 for adequacy report of ETP.
	Issue SCN u/s 21/22 of the Air Act and u/s 25/26 of the Water Act for not applying consent to operate. Ask the unit to correct the deficiencies observed during the inspection and submit an affidavit in this regard. Inform to DJB regarding ground water extraction.
	Case be considered after implementation of decision of Scrutinizing Committee.

	20
	17250
	15-12-2005
	GKB RX LENS PVT. LTD.
	E-26, B-1, EXTENSION
	MOHAN CO-OPERATIVE INDUSTRIAL AREA
	mfg of prescription lenses (grinding + coating) 
	SCN for refusal & SCN 31(A)  for failure to submit proof of commissioning of the unit. Submitted documents on 19.11.07 but DJB clearance not submitted. SCN for refusal for DJB clearance and submission of affidavit of installation of ETP.
Recommendation of scrutinizing committee
Recommended for Consent to Establish. Inspection be conducted to know the present status. 
Decision on 09.09.09
Issue Consent to Establish and inspection be conducted to know the present status. 
Recommendations of Scrutinizing Committee on 04.12.2009
Issue SCN u/s 33(A) of the Water Act.
Decision on 21.12.2009 / 22.12.2009
Issue closure direction.
16.03.10
Ask the unit to submit Bank Guarantee of Rs. 1 Lakh each under Water Act and HWM Rules valid for one year within 15 days. Inspection be conducted. Based on the findings of inspecton, decision on revocation of closure direction will be taken.
	1.Applied for consent to establish on 15.12.05 and again on 24.12.08.
Consent to operate 02.02.06.
2. SCN for refusal & SCN 31(A) was issued on 31.10.07 for failure to submit proof of commissioning of the unit. 
Submitted documents on 19.11.07 but DJB clearance not submitted. 
3. SCN for refusal was issued on 15.07.09 for DJB clearance and submission of affidavit of installation of ETP. 
Submitted reply but DJB clearance not submitted. 4. Unit operating since Oct.05. 

5. Inspection conducted on 28.10.09 & following were observed :-
1.ETP was found in disconnected condition and completely dry.
2.Waste water was being discharged into public sewer & drain w/o any treatment.
3.No room for HW storage.
4.Borewell exists.

6. Closure directions were issued on 02.02.2010.
 The unit submitted its presentation on 24.02.2010 along with some photographs & informed that deficiencies observed during inspection have been rectified. The unit has requested the revokation of closure directions. 
	The unit submitted BG of Rs.1 Lakh each under HWM Rules & Water Act on 20.04.10. The unit was inspected on 13.05.10 & it was observed that the unit has installed an ETP (Batch Type) which was found in operational condition. Dry & Wet sludge was observed. The unit is having one borewell.
	Recommended for revocaton of closure directions. Inform to DJB regarding ground water extraction.
	Revoke closure directions. Inform to DJB regarding ground water extraction.

	21
	32782
	15-02-2010
	R.M.X. JOSS MERCHANTS PVT. LTD.
	A-68, PHASE-II
	OKHLA INDUSTRIAL AREA
	Mfg. of readymade garments
	23.03.10
Ask the unit to submit Bank Guarantee of Rs. 50000 under Water Act valid for one year within 15 days. After submission of Bank Guarantee, inspection be conducted.
	1.Comencement: 2000
2.Trade Effluent: 11000 Lt/day, AR of Dec 2009 submitted.
3.DG: Three DG of 250 KVA, 125 Kva and 40 Kva. As per NMR, stack height of 40 Kva generator is inadequate.
4. One Boiler : SMR submitted
5. Earlier CTO valid upto 17.12.03, CTR valid upto 17.12.06, CTR applied on 17.11.06 is pending
6.CTE not needed
7.COI has referred the name of the unit to DPCC at Si. no.38 and ETP found non-functional during inspection by a team from DPCC/ DJB/ COI.
Suggestion given in adequacy report
a) Overhauling and painting of ETP
b)Replacement of valves of ETP
c)Change of valves
d)Addition of gravity filter
	The unit submitted BG of Rs. 50,000 under Water Act on 06.05.10. The unit was inspected on 17.05.10 & it was observed that the unit has installed an ETP (Batch Type) which was found in operational condition. One borewell exist for which permission has been obtained from CGWA in the name of M/s Look Clothing Pvt. Ltd..
	Recommended for grant of renewal of consent. Inform to DJB regarding ground water extraction.
	Issue renewal of consent. Inform to DJB regarding ground water extraction.

	22
	32784
	15-02-2010
	R.M.X. JOSS
	A-65, PHASE-II
	OKHLA INDUSTRIAL AREA
	Mfg. of readymade garments
	23.03.10
Ask the unit to submit Bank Guarantee of Rs. 50000 under Water Act valid for one year within 15 days. After submission of Bank Guarantee, inspection be conducted.
	1.Comencement: 1987
2.Trade Effluent: 10500 Lt/day, AR of Dec 2009 submitted.
3.DG: 180 Kva, NMR submitted
4. One Boiler : SMR submitted
5. Earlier CTR valid upto 17.12.06, CTR applied on 14.11.06 is pending.
6.CTE not needed
7.COI has referred the name of the unit to DPCC at Si. no.37 and ETP found non-functional during inspection by a team from DPCC/ DJB/ COI.
Suggestion given in adequacy report
a) Overhauling and painting of ETP
b)Replacement of valves of ETP
	The unit submitted BG of Rs. 50,000 under Water Act on 06.05.10. The unit was inspected on 17.05.10 & it was observed that the unit has installed an ETP (Batch Type) which was found in operational condition. One borewell exist for which permission has been obtained from CGWA.
	Recommended for grant of renewal of consent.
	Issue renewal of consent.

	23
	32783
	15-02-2010
	R.M.X. JOSS
	C-173, PHASE-I
	OKHLA INDUSTRIAL AREA
	Mfg. of readymade garments
	23.03.10
Ask the unit to submit Bank Guarantee of Rs. 50000 under Water Act valid for one year within 15 days. After submission of Bank Guarantee, inspection be conducted.
	1.Comencement: 2000
2.Trade Effluent: 11000 Lt/day, AR of Dec 2009 submitted.
3.DG: 125 Kva, NMR submitted
4. One Boiler : SMR submitted
5. Earlier CTO valid upto 17.12.03, CTR valid upto 17.12.06, CTR applied on 17.11.06 is pending
6.CTE not needed

Suggestion given in adequacy report
a) Overhauling and painting of ETP
b)Replacement of valves of ETP
c)Addition of gravity filter
	The unit submitted BG of Rs. 50,000 under Water Act on 06.05.10. The unit was inspected on 17.05.10 & it was observed that the unit has installed an ETP (Batch Type) which was found in operational condition. One borewell exist for which permission has been obtained from CGWA.
	Recommended for grant of renewal of consent.
	Issue renewal of consent.


	Sl. No 
	ID No
	appl_dt
	firm_name
	firm_address
	area_name
	Category
	Proposed  Activity/ Product
	Earlier CMC Decisions  
	Quantity of Ground water extraction
	ATR / Remarks
	Decision on 16.06.2010

	1
	20204
	18-12-2006
	NIMPRA ENGINEERING EQUIPMENTS CO
	PLOT NO 237, SECTOR-5, POCKET-G
	BAWANA INDUSTRIAL AREA
	 
	Mfg. of Air Comprassor and engg. Fabrication 
	CMC Orange has decided to inspect the unit on the issue of gas vs of Air comprassor
Decision on 09.09.2009
Case be considered after implementation of decision of Scrutinizing Committee.
        Decision of Scrutinizing Committee dated  04.02.2010
Wait the reply received from DDA w.r.t. Air Compressor.
          Decision of CMC's decision dated 12.02.2010 / 15.02.2010
Put up in next CMC.
	 
	CMC Orange has decided to inspect the unit on the issue of gas vs of Air comprassor.
Unit found engaged in Mfg. of Air compressor. Raw material MS sheet.
Paint on compressor is not done in the premises.
	Issue reminder to DDA.

	2
	33130
	12-03-2010
	RAKESH NARULA KAMAL NARULA
	PLOT NO 355-A (1/444-A), GALI NO 1
	FRIENDS COLONY INDUSTRIAL AREA
	OPERATE
	copper wire drawing with super enamelling
	21.12.2009 / 22.12.2009
SIT-II to inspect and report within 15 days.

12.02.2010/15.02.2010
Ask the unit to correct the deficiencies observed during the inspection. Also ask the unit to give reason as to why unit has applied for consent to establish again. 

16.04.2010
Issue SCN for refusal of consent.
              26.05.2010
Put up in next CMC.
	 
	BUA: 56 sq yd
GW: Nil
Water Consumption: 150 lit/day
Waste Water:
(a) domestic effluent: 30 lit/day
(b) Trade Effluent:Nil
Year of  estblishment: 2010
Applied for CTE on 24.11.09

Incompliance of decision dated 12.02.2010/ 15.02.2010 letter issued to the unit on 16.03.2010 and reply received from the unit on 06.04.2010 regarding the correction of deficiencies.
SCN for refusal issued on 17.05.2010
	Inspection be conducted.


	Sl. No 
	firm_name
	Consent Status
	Proposed  Activity/ Product
	Earlier CMC Decisions  
	Details
	ATR / Remarks
	Decision on 16.06.2010

	3
	M/s Taj SatsAir Catering Ltd. IGI Airport Complex, New Delhi
	Earlier CTO & CTO-R issued valid upto 05.09.07.
Applied for CTO-R on 11.02.08 vide I.D No- 24918.
	Flight Catering
	Decision on 28.01.2009
The unit came for personal hearing today. It is drawing 460 KLD of water from ground without CGWA clearance. In South district, drawl of ground water is prohibited and unit must take CGWA clearance immediately. It must also install Rain Water Harvesting system properly which will be required for CGWA clearance. The unit is treating 200 KLD of waste water.  The unit must use the treated waste water for the entire cooling requirement so that fresh water is conserved and treated waste water get optimally utilized. The unit must also install Solar Water Heating system and ensure use of CFL, BEE labeled equipments to conserve the energy. The unit may correct all these deficiencies by 31.03.2009. The unit should also submit the water mass balance chart. Call on 12.03.2009 for interim report. Issue the letter to the unit without waiting for the minutes. 
 Decision on  12.03.2009
Ask the unit to ensure full compliance of CMC decisions to be done by 22.04.2009 without fail. Call on 22.04.2009.
Decision on 03.06.09
Unit should submit permission from DJB for ground water extraction as per new orders and
 compliance report for installation of Rain Water Harvesting System and Solar Water Heating 
System. Unit should finanlize and submit the full compliance report for all the points
 communicated to it. Call on 22.07.2009 

DECision on 16.03.2010
Issue reminder
Decision of Scrutinizing Committee dated 18.05.2010
Recommended for grant of renewal of consent.
Decision of CMC's decision dated 26.05.2010
Put up in next CMC.
	G.W- 460 KLD
Trade effluent - 200 KLD.
ETP: - 200 KLD installed.
Water mass balance chart :- submitted.
	Letter dated 18.06.09 issued for full compliance of CMC decision dated 03.06.09.
Unit submitted its replies on 29.07.09, 29.10.09 and  31.10.09 stating that They have installed rain water harvesting structure, applied in CGWA for GW permission, water recycling process implementation is in process, SWH system installation is in process, CFL lamps are being used, Adequacy report date Dec,07 submitted.
Further, Letter dated 11.02.2010 was issued for point wise detailed action taken report (ATR) required for AEMC meeting.


Reminder dated 10.05.2010 issued. 
REply received along with water mass balance chart.
	Issue consent to operate with a codnition to achieve 100 % recycling of the treated effluent within 1 year. 


