Minutes of the 163rd meeting of the Committee Constituted for Deciding the Consent under Orange Category, held on 17.06.2011 in the Conference Room of Chairman, DPCC.

   The following persons attended the meeting:

Sh. Keshav Chandra, Chairman, DPCC

Dr. A.K.Ambasht, Member Secretary, DPCC

Prof. S. K. Gupta, IIT-Delhi 

Sh. M. Dwarakanth, SSO, Dept. of Env., GNCTD. 

Sh. B. Kumar, Addl. Director, DPCC. 
SEEs of CMC –  II, III & IV.


EEs of CMC – I, II, III & IV.


Following are the minutes of the meeting:- 

Agenda Item No. 1-  Consent to Establish cases w.e.f. 12.08.2009 to 30.10.2010 excluding the cases of  redevelopment areas considered by CMC earlier, in which consent is still to be disposed of, considered by Scrutinizing Committee on 13.04.2011(103 cases).

Decisions recommended with respect to this agenda are tabulated and annexed as Annexure – 1. 

Agenda Item No. 2- Inspection cases in compliance of earlier CMC's decisions, considered by Scrutinizing Committee on 13.04.2011(04 cases).

Decisions recommended with respect to this agenda are tabulated and annexed as Annexure – 2. 

Agenda Item No. 3- Special reference case, considered by Scrutinizing Committee on 13.04.2011(01 case).

Decisions recommended with respect to this agenda are tabulated and annexed as Annexure – 3. 

Agenda Item No. 4- The cases which were directed to be put up in next CMC (04 cases) 

Decisions recommended with respect to this agenda are tabulated and annexed as Annexure – 4. 

Table Agenda Item No 1: M/s Ideal Udyog, 102, Phase-II, Badli Industrial Area, Delhi

Ask the unit to submit Bank Guarantee of Rs. One Lakh each under Water Act and HWM Rules valid for one year and subsequently inspection be done. If everything found correct then renew the consent and authorization under HWM Rules. 
Table Agenda Item No 2: M/s The Metropolitan Hotel Nikko (A unit of Sunair Hotel), Bangla Sahib Road, New Delhi

Issue renewal of consent. Ask the unit to submit quarterly progress report. 
Table Agenda Item No 3: M/s Negolice India Ld., Construction of Residential Complex named “Victoria Gardens” at Ring Road, Azadpur, New Delhi 

In view of the Financial Commissioner’s order dated 07.03.2011, an opportunity of hearing was given on 31.03.2011. It was decided that the points on which prosecution is to be launched, be communicated to the unit in pursuance of the Appellate Authority order. The project proponent has submitted its reply on 20.04.2011 wherein he submitted that he has already submitted bank guarantee and environmental damages and has removed all the deficiencies as observed during the inspection dated 12.02.2010. It was also noticed that bank guarantee and environmental damages submitted has not been taken into the account due to the decision of the prosecution. Since the project proponent has now confirmed that deficiencies have been removed, same may be the verified through inspection and if the claim of the project proponent is found correct, the bank guarantee and environmental damages submitted be taken into account after getting its proper revalidation from the project proponent. If unit submits the revalidated bank guarantee and environmental damages, consent to establish may be issued. However, if deficiencies still exist the already submitted bank guarantee will be taken into account and forfeited. The Committee also deliberated the issue of imposing of additional bank guarantee in tune of construction as on 12.02.2010 and waiver of environmental damages and, therefore, it was decided to check the legal status w.r.t. these recommendations.   

Table Agenda Item No 4: M/s Paragon Cable India, 9, Rajasthan Udyog Nagar Industrial Area, New Delhi. 

Decision taken on file, regarding issuance of consent to establish to 9, Rajashthan Udyog Nagar Indl. Area and revocation of renewal of consent to 29, Rajasthan Udyog Nagar Ind. Area, Delhi, ratified. 
Table Agenda Item No 5: M/s Sonia Theatre Pvt. Ltd., G-1, Community Centre, Vikaspuri, Delhi-110018

Inspection be conducted. 

Table Agenda Item No 6: M/s Ess Cee Cee & Associates (India) Pvt. Ltd., Plot No 2, Shivaji Place, District Centre, Raja Garden, Delhi.

Waste water sampling of STP be conducted by DPCC laboratory which may be simultaneously analyzed by CPCB. This may be done without waiting for the minutes.  

Table Agenda Item No 7: M/s A.P.S. Food Pvt. Ltd, 28, NWA, Market, (Club Road), Punjabi Bagh, Delhi.

Issue consent to operate. 

Table Agenda Item No 8: M/s Ashoka & Co. Pan Bahar Ltd, 20, Najafgarh Road Industrial Area, New Delhi

Re-inspection be conducted for mfg. of pouch and file be put up administratively. 

Table Agenda Item No 9: M/s Pride Hotels, Asset No 5A, Hospitality District, Delhi Aerocity, IGI Airport, Delhi

Inspection be conducted. 
Table Agenda Item No 10: M/s Birds Hospitality Hotel Pvt. Ltd, Asset No 10, Hospitality District, Delhi Aerocity, IGI Airport, Delhi

Inspection be conducted. 

Table Agenda Item No 11: M/s Dimple Creations Pvt. Ltd., C-64/5, Phase-II, Okhla Industrial Area, New Delhi-110020 

Issue SCN for refusal of consent and SCN for revocation of consent to establish. Also ask the unit to submit Bank Guarantee of Rs. 50,000 each under Air Act, Water Act and HWM Rules valid for one year. 

Table Agenda Item No 12: M/s Spirit Global Pvt. Ltd., Commercial Complex at Plot No 9, Jasola District Centre, New Delhi 

IIT, Delhi has not disputed with the area shown in the sanctioned plan submitted by the unit. However, the IIT, Delhi has recorded in its report that 420 sqm area is not shown in the sanctioned plan. Therefore, the total built up area is 20420.56 sqm. Ask the unit to obtain environmental clearance from SEIAA within 02 months and till that time application for consent to establish shall be kept pending. The unit shall also apply for consent to operate within 15 days. 
The construction of the project was started in 2005 with project cost of Rs. 54.56 Crores and commissioned also in 2007 without consent to establish, consent to operate and environmental clearance and even without having Sewage Treatment Plant(STP), therefore, liable to pay environmental damages and bank guarantee. The environmental damages and bank guarantee has not been imposed earlier in this case and the similar other construction projects have filed the petition before Hon’ble High Court in which DPCC has filed the LPA against the order of High Court. Ask the unit to submit an affidavit stating that the unit shall pay Rs. 54.56 Lakh as environmental damages (1 % of the project cost) and Rs. 54.56 Lakh as bank guarantee (1 % of the project cost) in the spirit of the court order in respect of the matter of the construction matter pending before the Hon’ble Court. If the unit submits the affidavit with regard to environmental damages and bank guarantee, closure directions be revoked. 

Meeting ended with thanks to the chair.
	S. No.
	I.D. No
	appl_dt
	Industry Name
	Industry Address
	Industrial Area
	Activitiy / Product
	Consent Status
	Earlier Committee Decision
	Remarks / Action Taken / ATR
	Recommendations of Scrutinizing Committee on 13.04.2011
	Decision recommended by CMC(Orange) on 17.06.2011

	1
	31175
	21-08-2009
	ARMY COLLEGE OF MEDICAL SCIENCES
	NEAR BASE HOSPITAL, DELHI CANTONMENT, DELHI
	NC-SW
	Runing of a medical college
	 
	Decision on 09.09.2009
Ask the unit to file environmental clearance.
Decision on 13.11.2009
Issue reminder
Decision on 13.08.2010
Call for personal hearing.
	In the personal hearing ask the unit to submit compliance affidavit of Environmental Clearence 's condition.
Unit submitted it reply on 25.11.2010 along with an affidavit.

Trade effluent: nil
D. G. Set: 500 KVA & 200 KVA. NMR submitted dated 06.08.2009.
	Case may be discussed before CMC(Orange).
	Case be put up after the decision is received in case of IIT, Hauz Khas, Delhi.

	2
	31487
	18-09-2009
	ASHOK TOURIST SERVICE STATION (A UNIT OF ITDC LTD.)
	NITI MARG, CHANAKYA PURI
	NC-ND
	Repairing and servicing of automobles.
	CTE applied on 18.0.2009 Vide Id.No.31487.
	13.08.2010 Issue SCN for refusal on consent.
	SCN for refusal was sent on 13.09.2010.
Reply was received on 17.09.2010.
	Consent be refused in view of the reply received regarding withdrawal of the request for consent. 
	Consent refused in view of the reply received regarding withdrawal of the request for consent. 

	3
	31665
	09-10-2009
	PURI ENTERPRISES
	C-89, SECTOR-2, DSIDC
	BAWANA INDUSTRIAL AREA
	Iron Foundary
	 
	           13.11.2009
Inspection be conducted to find out the type of furnace..
27.04.2010
Inspection done. Decision deferred till clarification from DDA.
13.08.2010
Decision be deferred till clarification from DDA.
	BUA: 100 sqm
Water Consumption: 200 lpd
Trade Effluent: Nil
Domestic Effluent: 100 lpd
Date of estd: March 20009.

No D.G set.
Regarding air pollution unit has proposed that unit will provide proper channelization systems with stack to be installed to control  air emission.
	Letter be  issued to the unit for clarifying the exact manufacturing process and the type of the furnace being used. 
	Letter be  issued to the unit for clarifying the exact manufacturing process and the type of the furnace being used. 

	4
	31723
	23-10-2009
	AMIT METAL COMPANY
	E-168, PHASE-II
	MAYAPURI INDUSTRIAL AREA
	Trading & dismentaling of electronic and electrical waste
	Applied for CTO on 16.11.09 vide I.D No- 31904.
Applied for Authorisation under HWM on 16.11.09.
	Decision on 13.11.2009
Ask the unit to provide method of disposal of e-waste and documentary evidence w.r.t. disposal of e-waste to recylcer approved by CPCB/MOEF.
27.04.2010
Inspection be conducted
Decision on 13.08.2010
Inspection done on 21.07.2010. Issue SCN for refusal of consent in view of the prohibition of the activity as per MPD-2021 and because of the fact that unit is not an authorized recycler of the e-waste.
	No D.G Set.
No Trade effluent.

SCN for refusal of consent in view of the prohibition of the activity as per MPD-2021 and because of the fact that unit is not an authorized recycler of the e-waste issued to the unit on 27.09.2010
Unit submitted its points wise reply on 19.10.2010 .
1. They are engaged in trading & dismental of electronics and electrical waste.
2. They purchase waste from any agencises/offices.
3. After dismental and separtion they will send for segergation throught transport to recycler and photocopy of certificate enclosed.  
	Case be discussed before CMC(Orange).
	Consent refused since hazardous waste processing viz. hospital /medical/industrial waste is listed in negative list of MPD-2021 and is not permissible and the unit is not an authorized recyler of the e-waste. Also the name of the unit be forwarded to COI, MCD, DDA for taking necessary action in view of the prohibition of the activity as per MPD-2021.

	5
	31740
	27-10-2009
	FIO RESTAURANT  (A UNIT OF VW CUISINES & CONCEPT PVT. LTD.)
	F-1,4, WEST BAZAAR, THE GARDEN OF FIVE SENSES, VILLAGE SAID ULA JAB
	NC-S
	Restaurant with 48 seats
	Yet to be issued
	          130th 
Ask the unit to submit valid health licence from MCD & eating house licence from Delhi Police. 
              138th
Ask the unit to submit valid MCD health licence.
            13.08.10
Issue SCN for refusal of consent.
            16.03.11(InCTO File)
Issue consent to operate and consent to establish.
	SCN for refusal of consent issued on 29.09.10
Unit applied for CTO on 27.12.10 vd ID 36076.
CTO & CTE yet to be issued.
	Implement the CMC(Orange) decision dated 16.03.2011
	No action as decision implemented.

	6
	31839
	09-11-2009
	VIJAY ENGINEERING WORKS
	B-84, SECTOR-1, DSIDC
	BAWANA INDUSTRIAL AREA
	Die Casting
	 
	21.12.2009/22.12.2009
Inspection be conducted to ascertain the type of furnace.
16.04.2010
Decision deffered till clarification from DDA.
13.08.2010
Decision deffered till clarification from DDA.
	BUA: 150 sqm
Water Consumption: 700 lpd
Trade Effluent: Nil
Domestic Effluent: 100 lpd
Date of Commissioning: 01.01.2010.
Raw material: ferrous and non ferrous metal
Oil fired furnace proposed.

Inspection conducted on 10.03.2010:
1) unit was not in operation 
2) unit was found vacant. No m/c was lying inside.
3) no responsible person was available.
	Decision deferred as confirmity issue w.r.t. MPD-2021 under consideration. 
	Decision deferred as conformity issue w.r.t. MPD-2021 under consideration. 

	7
	31968
	23-11-2009
	PADMAWATI METALS
	A-92, BACKSIDE
	WAZIRPUR INDUSTRIAL AREA
	Mfg. of aluminiumand aluminium related products.
	CTO (P) applied on 18.08.2006 Vide Id.No. 34886.
	25.11.2010 Decision be deferred till clarification from DDA.
	Letter was sent on 21.03.2011.
No reply received.
	Decision deferred as confirmity issue w.r.t. MPD-2021 under consideration. 
	Decision deferred as conformity issue w.r.t. MPD-2021 under consideration. 

	8
	31999
	24-11-2009
	RAKESH NARULA KAMAL NARULA
	PLOT NO 355-A (1/444-A), GALI N 1
	FRIENDS COLONY INDUSTRIAL AREA
	Copper wire drawing with super enamelling
	Applied for CTE on 24.11.09
	21.12.2009 / 22.12.2009
SIT-II to inspect and report within 15 days.

12.02.2010/15.02.2010
Ask the unit to correct the deficiencies observed during the inspection. Also ask the unit to give reason as to why unit has applied for consent to establish again. 

16.04.2010
Issue SCN for refusal of consent.
26.05.2010
Put up in next CMC.
16.06.2010
Inspection be conducted.
13.08.2010:Inspection done. Consent be made infructuous as unit has obained consent to establish earlier. 
	BUA: 56 sq yd
GW: Nil
Water Consumption: 150 lit/day
Waste Water:
(a) domestic effluent: 30 lit/day
(b) Trade Effluent:Nil
Year of  estblishment: 2010


Incompliance of decision dated 12.02.2010/ 15.02.2010 letter issued to the unit on 16.03.2010 and reply received from the unit on 06.04.2010 regarding the correction of deficiencies.

SCN for refusal issued to unit on 17.05.2010. Reply received from the unit on 28.05.2010.
Inspection yet to be done.
	Implement the decision dated 13.08.2010 for making the application infrctuous.
	Decision implemented. No action. 

	9
	32048
	30-11-2009
	SUNAM METAL INDUSTRIES
	A-132
	WAZIRPUR INDUSTRIAL AREA
	Aluminium sheet
	CTE applied on 30.11.2009 Vide Id.no.32048. CTO applied on 23.11.2010 Vide Id.No.35721.
	13.08.2010 Decision deffered till clarification from DDA.
	 
	Decision deferred as confirmity issue w.r.t. MPD-2021 under consideration. 
	Decision deferred as conformity issue w.r.t. MPD-2021 under consideration. 

	10
	32267
	29-12-2009
	S.S. INDUSTRIES
	PLOT NO 112, POCKET-I, SECTOR-1, DSIDC
	BAWANA INDUSTRIAL AREA
	Mfg of aluminum die casting
	 
	25.01.2010
Inspecton be conducted.
27.04.2010
Issue Show Cause Notice for refusal of consent and SCN u/s 31(A) for closure of the unit. 
13.08.2010
Issue closure directions as the time sought by the unit for rectification of the deficiencies already expired.
	Year of commencement: Jan, 2010
Inspection conducted on 10.03.2010. 

SCN for closure and for refusal issued to unit on 08.06.2010. Reply received from the unit on 25.06.2010 and requested to grant 45 days for the installation of ducting over the machinery.
Directions for Closure issued to the unit on 17.09.2010.
Reply received from the unit on 24.09.2010.
Reply on affidavit received from the unit on 27.09.2010.
Reply again received from the unit on 11.10.2010.
Reply again received from the unit on 13.10.2010.
Compliance report from NDPL received on 13.10.2010.
Letter for submission of BG issued to the unit on 27.10.2010.
Letter for Revocation of Closure of Directions issued to the unit on 02.11.2010.
BG submitted on 29.10.2010.
Compliance from NDPL received on 09.11.2010.
	Decision deferred as confirmity issue w.r.t. MPD-2021 under consideration. 
	Decision deferred as conformity issue w.r.t. MPD-2021 under consideration. 

	11
	32292
	31-12-2009
	K.P. FLEXIPAK PRIVATE LIMITED
	B-92, PHASE-I
	MAYAPURI INDUSTRIAL AREA
	Mfg. of Printing & Polybegs
	Applied for CTE on 31.12.2009
Applied for CTO on 11.01.2010 vide ID no 32392
	Decision on 27.04.2010
Implementation the earlier CMC's decision dated 23.03.2010
Decision on 25.01.2010
Inspection be conducted to know the physical existance of the units operational at plot on B-92.
Decision on 23.03.2010
Refer to DJB for ground water extraction. Ask the unit to correct the deficiencies observed during the inspection and confirm it on an affidavit.
Decision on 19.08.2010
Issue SCN for refusal of consent and SCN u/s 5 of the EPA.
	Plot area: 680 sqm.
D.G. Set: nil
Trade effluent: nil
Domestic effluent: 200 LPD
GW: NIL

SCN issued on 24.11.2010
Unit submitted its reply on  13.12.2010 along with affidavit and photographs of Hazardous waste.
	Ask the unit to submit bank guarantee of Rs. 50,000 under HWM Rules valid for one year. 
	Ask the unit to submit bank guarantee of Rs. 50,000 under HWM Rules valid for one year. If unit submits the bank guarantee, consent to establish be issued.

	12
	32330
	04-01-2010
	R.R. TRENDS PRIVATE LIMITED
	D-4/1, PHASE-II
	OKHLA INDUSTRIAL AREA
	Manufacturing of readymade garment with washing
	Pending
	                          136th
Inspection be conducted.
                     143rd 
Issue SCN u/s 31(A) of the Air Act and u/s 33(A) of the Water Act for closure of the unit. Inform to DJB regarding ground water extraction.
                 13.08.10
SCN & letter issued on 16.07.10. No reply received. Put up in next meeting. Reply received stating that washing activity has been closed down. Ask the unit to confirm its reply on an affdiavit and also to submit Bank Guarantee of Rs. 50,000 each under Air Act and Water Act valid for one year.
	letter to ask the unit to confirm its reply on an affdiavit and also to submit Bank Guarantee of Rs. 50,000 each under Air Act and Water Act valid for one year issued on 29.09.10.

Unit submitted an affidavit and Bank Garantee on  19.10.10
	Recommended for grant of consent to establish. 
	Issue consent to establish. 

	13
	32352
	06-01-2010
	KHANNA ELECTRICAL APPLIANCES
	A-77, SECTOR-2, DSIDC
	BAWANA INDUSTRIAL AREA
	Pressure die casting
	 
	16.03.2010
Inform the unit that matter is being clarified from DDA in view of the provisions of MPD-2021 w.r.t inclusion of foundry in the negative list. The consent cannot be decided till the aforesaid clarification are received from DDA.
13.08.2010 
Decision be deferred till clarification from DDA.
	BuA:250 sqm
Water Consumption:600 lpd(source Ground Water)

Trade Effluent: Nil
Domestic Effluent: 200 lpd
Date of commissioning: Feb2010.
Letter issued to unit on 22.04.2010. 
No reply received.
	Decision deferred as confirmity issue w.r.t. MPD-2021 under consideration. 
	Decision deferred as conformity issue w.r.t. MPD-2021 under consideration. 

	14
	32396
	12-01-2010
	HINDUSTAN CONSTRUCTION COMPANY LTD.
	BADARPUR ELIVATED H IGHWAY
	NC-S
	RMC
	Pending
	              136th
Ask the unit to furnish the work order awarded by the appropriate agencies and the period for which consent is required i.e. compeletion of the project.
                13.08.10
Letter be issued at residential address along with the office address.
	Letter issued on 21.04.10. Letter returned back.

Letter again issued on 29.09.10 at same address since  residential address has not been mentioned in the application form.
No reply received.
	Issue SCN for refusal of consent in view of non response received from the unit. 
	Issue SCN for refusal of consent in view of non response received from the unit. 

	15
	32475
	18-01-2010
	SOPHISTICA INDUTRIES PVT. LTD.
	Y1/Y2, PHASE-II
	OKHLA INDUSTRIAL AREA
	Manufacturing of readymade garment with washing
	Pending
	            59th CMC( Green)
Consent refused and issue closure direction on the basis of findings of inspection.

                       136thsed and issue closure direction on the basis of findings of inspection.

                       136th
Ask the unit to submit Bank Guarantee of Rs. 1 Lakh each under Air Act and Water Act valid for one year and also submit adequacy report of ETP in closed condition of the unit from empanelled consultant of DPCC.
                         147th 
Ask the unit to submit corrected Bank Guarantee. If unit submits the Bank Guarantee, closure directions be revoked and issue consent to esablish
                     13.01.2010
Ask the unit to submit adequacy report from empanelled consultant of DPCC. If unit submits the adequacy report, consent to establish be issued
	letter issued to submit adequacy report from empanelled consultant of DPCC on 28.02.11.

Unit submitted its reply on 15.02.11 and 15.03.11 stating that they had applied for Adequacy report of ETP in GGSIU
	Issue reminder for adequacy report.
	Adequacy report submitted on 13.05.2011. Closure direction revoked and issue consent to establish. 

	16
	32529
	22-01-2010
	UMA SHAKER KHANDELWAL & CO.
	E-30, PHASE-II
	OKHLA INDUSTRIAL AREA
	Mfg. of Steel forging
	Pending
	                      136th
Issue SCN for concealing the vital information in affidavit about closure of the unit under 'H' category asking the unit to clarify the status of surrrender of the land in view of the closure under 'H' category. DDA be also informed regarding the land to be surrendered by the unit in complinace of Hon'ble Supreme Court order. Subsequently, inspection may also be conducted
                          13.08.10
Ask the unit to correct the deficiencies observed during the inspection and also to remove the unused machinery and submit an affidavit in this regard. Also ask the unit to apply for authorization under HWM Rules.

                         27.08.10 (In CTO File)
Ask the unit to correct the deficiencies observed during the inspection and also to remove the unused machinery and submit an affidavit in this regard. Also ask the unit to apply for authorization under HWM Rules. Inform to DJB regaring ground water extraction
	Letter to submit an affidavit and  to apply for authorization under HWM Rules issued on 29.09.10

Unit submitted  its reply on 15.09.10  along with an affidavit and cpy of receipt of DPCC  that they applied for Authorization under HWM Rule on 15.10.10

(In CTO file) Letter to submit an affidavit and  to apply for authorization under HWM Rules and letter to DJB  regaring ground water extraction issued on 19.10.10

Unit again submitted letter for both CTE and CTO File on 15.11.10 stating that they have already complied with all requirements
	Insist the unit to remove the unused machinery and confirm on an affidavit. 
	Insist the unit to remove the unused machinery and confirm on an affidavit. 

	17
	32629
	02-02-2010
	DELHI FOUNDERS (REGD)
	PLOT NO B-37/B
	JHILMIL INDUSTRIAL AREA
	Casting of Components by Pit furnace
	Applied for CTR on 11.04.2005 for the activity of casting through cupola furnace.
Applied for CTE on 02.02.2010
	16.03.2010
Inspection be conducted within 10 days and file be put up administratively without waiting for minutes.
23.03.2010
Ask the unit to provide clarification regarding source of water and apply for consent to establish. 
16.06.2010
Ask the unit to remove the cupola furnace from the premises and confirm on an affidavit  within 15 days followed by inspection before grant of CTE for new activity.
13.08.2010: 
Issue SCN u/s 31(A) of the Air Act for closure of the unit. 
	BUA :  150 Sq. m
GW: Nil
Water Consumption :
200 Llt/day
Waste Water generation : 
(a) Domestic effluent: 50 ltr/day
(b) Trade effluent: Nil
Date of Commissioning: 10.02.2010 (Proposed)

Applied for renewal of Authorization under HWM Rules on 11.08.2006.
SCN issued on 01.10.2010. 
Reply received on 11.10.2010 stating that operation of cupola furnace is stopped from feb 2010 and 3 months time is needed for relocation of cupola furnace.
A letter has been issued to submit a bank guarantee of Rs. 50,000 and also  an affidavit regarding removal of cupola furnace .

	Put up in CMC(Orange) along with the reply of the letter recently issued. 
	Issue consent to establish as bank guarantee received. Subsequently, inspection be conducted within 06 months. 

	18
	32663
	04-02-2010
	POPULAR METAL WORKS
	B-48
	JHILMIL INDUSTRIAL AREA
	MFG. OF ALUMINIUM SHEETS ARTICLES AND UTENCILS UNIT
	Applied for CTR on 22.06.2005.
Applied for CTR on 24.11.2009.
Letter issued.
Applied for CTE on 04.02.2010
	 16.03.2010
Inform the unit that matter is being clarified from DDA in view of the provisions of MPD-2021 w.r.t inclusion of foundry in the negative list. The consent cannot be decided till the aforesaid clarification are received from DDA.
16.04.2010
Meeting was convened in the chamber of Chairman and it was informed by the DDA officials that they are not competent to make amendment in the MPD-2021 unless it is approved by Ministry of Urban & Development. However, it was assured to take up the matter once complete agenda is received from the DPCC.
27.04.2010
Decision deferred till DDA clarification.
19.08.2010
Decision deferred till DDA clarification
	BUA:  2040 SQ mts..
Water Consumption :0.58 KLts/Day.
GW:Nil.
Waste Water generation : 
(a) Domestic effluent: 0.55 K Lt/Day
(b) Trade effluent: NIL
Date of Commissioning: Oct, 1983
ETP :  N/A.
Test Report (Water) within limit : N/A
D.G.SET: 62.5 KVA. 
NMR submitted :YES

Letter in compliance of decision dated 16.03.2010 issued to unit on 26.04.2010.
	Decision deferred as confirmity issue w.r.t. MPD-2021 under consideration. 
	Decision deferred as conformity issue w.r.t. MPD-2021 under consideration. 

	19
	32725
	09-02-2010
	DELHI FOUNDRY INDUSTRIES
	PLOT NO B-37/C
	JHILMIL INDUSTRIAL AREA
	Casting of machinery parts and Components by Pit furnace
	CTO granted on 22.09.2003. Expired on 23.09.2006.
Applied for CTR on 13.04.2006.
Applied for CTE on 09.02.2010
	16.03.2010
Inspection be conducted within 10 days and file be put up administratively without waiting for minutes.
16.06.2010
Ask the unit to remove the cupola furnace from the premises and confirm on an affidavit  within 15 days followed by inspection before grant of CTE for new activity. 
13.08.2010: Issue SCN u/s 31(A) of the Air Act for closure of the unit.
	BUA :  500 Sq. m
GW: Nil
Water Consumption :
200 Llt/day
Waste Water generation : 
(a) Domestic effluent: 50 ltr/day
(b) Trade effluent: Nil
Date of Commissioning: 115.03.2010 (Proposed)


 Authorization under HWM Rules issued on 27.08.2004.
Inspection conducted on 25.03.2010. 
Letter issued to unit on 14.07.2010. No reply received.
SCN issued on 1.10.2010.
Reply received on 15.10.2010 stating thatoperation of cupola furnace is stopped from feb 2010 and 3 months time is needed for relocation of cupola furnace.
Letter issued on5.04.2011 regarding submittion of BG of Rs. 50,000 and an affidative for removal of cupola furnace..
	Put up in CMC(Orange) along with the reply of the letter recently issued. 
	Issue consent to establish as bank guarantee received. Subsequently, inspection be conducted within 06 months. 

	20
	32726
	09-02-2010
	DELHI CASTINGS PVT. LTD.
	PLOT NO B-37/A
	JHILMIL INDUSTRIAL AREA
	Casting of Machinery parts and Components by Pit furnace
	Applied for CTR on 07.04.2005  for the activity of casting through cupola furnace.
Applied for CTE on 09.02.2010
	16.03.2010
Inspection be conducted within 10 days and file be put up administratively without waiting for minutes.
16.06.2010
Ask the unit to remove the cupola furnace from the premises and confirm on an affidavit  within 15 days followed by inspection before grant of CTE for new activity. 
13.08.2010: Issue SCN u/s 31(A) of the Air Act for closure of the unit.
	BUA :  90 Sq m
GW: Nil
Water Consumption :
200 Llt/day
Waste Water generation : 
(a) Domestic effluent: 50 ltr/day
(b) Trade effluent: Nil
Date of Commissioning: 15.03.2010 (proposed)



Applied for renewal of Authorization under HWM Rules on 04.08.2006.
Inspection conducted on 25.03.2010. 
Letter issued to unit on 14.07.2010. No reply received.
SCN issued on 1.10.2010.
Reply received on 11.10.2010 stating thatoperation of cupola furnace is stopped from feb 2010 and 3 months time is needed for relocation of cupola furnace.
A letter has been issued to submit a bank guarantee of Rs. 50,000 and also  an affidavit regarding removal of cupola furnace .
	Put up in CMC(Orange) along with the reply of the letter recently issued. 
	Issue consent to establish as bank guarantee received. Subsequently, inspection be conducted within 06 months. 
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	32731
	10-02-2010
	DHARAM UDYOG
	B-139, PHASE-I
	MAYAPURI INDUSTRIAL AREA
	Job Work of Electroplating.
	CTO issued on 19.01.04 valid upto 28.07.05. Unit has applied for CTO-R on 02.06.06 which was refused on 27.11.06 vide refusal no. 1554and again applied for CTO-R on 12.10.09 vide I.d No 31681.
	Decision on 21.12.2009 / 22.12.2009
Ask the unit to apply for Consent to Establish. Also inspection be conducted.
Decision on 16.03.2010
Issue SCN for refusal of consent based on the finding of inspection.

   16.04.2010
Implement the earlier CMC's decision dated 16.03.2010
Decision on 19.08.2010
Ask the unit to apply for fresh authorization under HWM Rules. As recommended in consent to establish application, ask the unit to submit Bank Guarantee of Rs. 50,000 each under Water Act and HWM Rules valid for one year. If unit submits Bank Guarantee, renewal of consent and consent to establish be issued.
	D.G. Set: 82.5 KVA (Proposed)
Trade effluent : 1300 LTD
Domestic effluent: 400 LTD 

Letter issued to the unit on 28.10.2010
Reply awaited.
	Issue reminder for submission of bank guarantee and to apply for fresh authorization under HWM Rules. 
	Insist the unit to submit the bank guarantee and to apply for fresh authorization under HWM Rules within 07 days, failing which, consent to establish be refused. 
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	32762
	11-02-2010
	JAWA ENTERPRISES
	A-141, DDA SHEDS, PHASE-II
	OKHLA INDUSTRIAL AREA
	Mfg of Poly bags
	Pending
	              131st
Issue closure directions u/s 33(A) of the Water Act and effective closure u/s 5 of the EPA, 1986 to both units.

                   136thrections u/s 33(A) of the Water Act and effective closure u/s 5 of the EPA, 1986 to both units.

                   136th
Pursue for effective closure order.

Recommendations of Scrutinizing Committee on 18.05.2010/19.05.2010/20.05.2010

Ask the unit to submit Bank Guarantee of Rs. One Lakh each under Air Act and HWM Rules. If unit submits, the Bank Guarantee, closure directions be revoked provided Bank Guarantee is also submitted by M/s Matha Offset Pvt. Ltd. 
                     13.08.2010
Ask the unit to submit Bank Guarantee of Rs. One Lakh each under Air Act and HWM Rules. If unit submits, the Bank Guarantee, closure directions be revoked provided Bank Guarantee is also submitted by M/s Matha Offset Pvt. Ltd. as decided in earlier CMC's decision dated 26.07.2010. If, units submit the Bank Guarantee, consent to operate and consent to establish be issued.  
	letter regarding submission of bank guarantee was issued to the unit on 29.09.10 w.r.t CMC decision date 13.08.10.

M/s Jawa Enterprises has submitted the bank guarantee of Rs. 1 lakh each under Air Act & HWM Rules on 12.01.2011. However, M/s Matha Offset Pvt. Ltd. has failed to submit Bank Guarantees of Rs. 1 Lakh each under Air Act, Water Act & HWM Rules in compliance of CMC decision dt. 13.08.10.

The cases of M/s Matha Offset Pvt Ltd. & M/s Jawa Enterprises were discussed with Hon’ble Member Secretary along with Environment Engineer (CMC-III) on 08.03.11. As per the discussion and the same was approved on file on 11.03.11, M/s Asia Enterprises partner Mr. Surinder Kumar Jawa s/o Sh. Ram Lal Jawa (as lesser) may be ask to submit the Bank Guarantees of Rs. One Lakh each under Air Act, Water Act and HWM Rules in compliance of CMC decision on 26.07.10 w.r.t M/s Matha Offset Pvt. Ltd. (as M/s Matha Offset Pvt. Ltd. has submitted letter on 19.01.11 that there is no activity in the premises since Dec 2010) & also ask to submit an affidavit from premises owner w.r.t. close down the activity by M/s Matha Offset Pvt. Ltd. in their premises & any unit will be start after getting prior permission from Accordingly, letter was issued to Mr. Surinder Kumar Jawa s/o Sh. Ram Lal Jawa (as lesser)on 17.03.11.

No reply has been received so far.
	Issue reminder for submission of bank guarantee by M/s Matha Offset Pvt. Ltd. 
	Decision taken on file ratified.
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	32795
	15-02-2010
	MATO INDUSTRIES
	A-5
	GTK ROAD INDUSTRIAL AREA
	Gun metal Bushes: 200 Pc/month
	CTO (Y) issued on 06.05.2004 and valid upto 17.02.2006 Vide C.No.10354.
CTR (P)applied on 15.12.2006 Vide Id.no.20197.
CTR (P) applied on 30.11.2009 Vide Id.no.32047.
	16.03.2010 Inform the unit that matter is being clarified from DDA in view of the provisions of MPD-2021 w.r.t inclusion of foundary in the negative list. The consent cannot be decided till the aforsaid clarification are received from DDA.
	Letter was sent on 16.04.2010.
Reply received.
	Ask the unit to submit bank guarantee of Rs. 50,000 under Air Act valid for one year and its reply on affidavit regarding rectification of the deficiencies and the fresh stack monitoring report from approved laboratory of DPCC, if the unit submits the requisite documents, consent to establish be issued. 
	Ask the unit to submit bank guarantee of Rs. 50,000 under Air Act valid for one year and its reply on affidavit regarding rectification of the deficiencies and the fresh stack monitoring report from approved laboratory of DPCC, if the unit submits the requisite documents, consent to establish be issued. 
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	32987
	03-03-2010
	J.A. MANUFACTURING WORKS
	B-64, DSIDC
	JHILMIL INDUSTRIAL AREA
	Mfg. of Bath fittings (w/o electroplating)
	CTO applied under green category refused on 18.04.06.
CTO applied under green category refused on 26.10.09.
CTE applied under green category refused on 07.07.09.
Applied for CTO on 02.06.2010.
	26.05.2010
Issue SCN for closure of the unit.
13.08.2010: 
Ask the unit to submit Bank Guarantee of Rs. 50,000 under Air Act valid for one year. If unit submits Bank Guarantee, consent to establish be issued.
	BUA: 75 sqm
GW: Nil
Water Consumption: 150lit/day
Waste Water:
(a) domestic effluent: 120 lit/day
(b) Trade Effluent:Nil
Year of  estblishment: December, 2005


One DG Set of 62 KVA without acoustic was also found during inspection. However, in the consent application it has not been mentioned.
SCN for closure issued to unit on 07.07.2010. Reply received from the unit on 14.07.2010.
Letter issued on 8.09.2010 for BG of Rs. 50,000. however no bank guarantee is received.

	Issue reminder for submission of bank guarantee. If unit submits the bank guaranatee, consent to establish be issued. 
	Bank Guarantee of Rs. 50,000 already received. Ask the unit to submit the additional bank guarantee of Rs. 50,000 under Air Act valid for one year. If unit submits the bank guarantee, closure directions may be revoked and consent to establish be issued. 
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	33073
	10-03-2010
	SANGEETA JAIN
	PLOT NO 423/424 (KH. NO 313/37B), GALI NO 7
	FRIENDS COLONY INDUSTRIAL AREA
	Mfg. of PVC wire and cables
	Applied for CTO on 30.08.06
Applied for CTO on 17.12.09
Applied for CTE on 10.03.2010. 
	25.01.2010
Ask the unit to apply for consent to establish and to submit Bank Guarantee of Rs. 1 Lakh each under all the three acts valid for one year for concealment of information.
26.05.2010
Ask the unit to file full compliance of earlier CMC's decision dated 25.01.2010.
13.08.2010: Issue final reminder giving  15 days time.
19.08.2010:
Issue SCN for refusal of consent
	BUA:  126 SQ mts.
Water Consumption :50  Lts/Day.
Waste Water generation : 
(a) Domestic effluent:  20 Lt/Day
(b) Trade effluent: NIL
Date of Commissioning:2006

Letter issued to the unit on 25.02.2010 in compliance of the decision dated 25.01.2010.
Bank gaurentee not submitted by the unit and it has requested that acoustic enclosure with DG Set shall be provided within two months. Affidvait submitted. Channelisation system has already been provided.
NMR of DG Set received from the unit on 06.07.2010
Letter for full compliance issued to unit on 16.07.2010. No reply received regarding bank gaurantee
SCN issued on 1.10.2010.
Reply received on 26.10.2010 stating that compliance has been fulfilled now with bank guarantee of Rs 1 lakh attached .
	Recommended for grant of consent to establish. 
	Issue consent to establish. 

	26
	33206
	18-03-2010
	CADDIE HOTELS PVT. LTD.
	ASSET-2, DELHI AEROCITY, INDIRA GANDHI INTERNATIONAL AIRPORT
	NC-SW
	Hotel
	 
	Decision on 26.05.2010
Ask the unit to submit  environmental clearance.
Decision on 13.08.2010
Call for personal hearing.
	Date of commissioning of construction:- September, -2010.
Total construction built up area:- 95,114.67 Sqm.
Status of EC:- Applied in SEAC, presentation done on 27.01.2010.
D.G Set of 2X 2000 KVA & 2X 500 KVA .

Unit submitted compliance affidavit of EC on 14.12.2010 and 28.03.2011 
	Case may be discussed before CMC(Orange).
	Case be put up after the decision is received in case of IIT, Hauz Khas, Delhi.
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	33293
	23-03-2010
	MALHOTRA METAL WORKS
	10, FIE
	PATPARGANJ INDUSTRIAL AREA
	Mfg. of Sanitary parts
	Applied for CTO on 30.04.07.
Applied for CTE under orange category on 23.03.2010
	01.02.2010
Issue SCN for closure due to non submission of CTE.
06.05.2010
Consent be made infructuous in view of the fact that unit has applied under orange category on 22.03.2010.
26.05.2010(Orange)
Ask the unit to submit the bank Gaurantee of Rs. 50,000 each under Air Act and Water Act valid for one year.
13.08.2010: Issue SCN for refusal of consent and SCN for closure of the unit
	BUA:4200 sqm
GW: 400 lit/day
Water consumption: 400 lit/day
Waste Water:
(a) Domestic:300 lit/day
(b) Trade Effluent:nil
Year of Establishment: Dec, 2004
SCN for closure issued to the unit on 25.02.2010. 
Letter in compliance of the decision dated 06.05.2010 issued to unit on 08.06.2010.
Letter in compliance of the decision dated 26.05.2010 (Orange) issued to unit on 16.07.2010.
Bank guarantee of 50,000 submitted on 20.09.2010.
SCN issued on 11.10.2010 for refusal of consent and closure of unit.
Reply received on 25.10.2010 stating that they have fully complied with the directions of DPCC with photostat copy of documents.
( Bank guarantee and flue gas analysis report)

	Recommended for grant of consent to establish. 
	Issue consent to establish. 
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	33364
	30-03-2010
	RAJINDRA MOTEL
	NH-1, JINDPUR ROAD, ALIPUR
	NC-NW
	Motel & Banquet
	CTE applied on 03.03.2010 Vide Id.no. 33364.
	26.05.2010 issue direction u/s 31 (A) of the air act and 33 (A) of the Water Act to stop carrying out commercial activity immediately and to install pollution control devices and to submit an affidavit in this regard within 45 days.
	Letter was sent on 30.06.2010 and in response on this letter reply was received on 21.07.2010.
13.08.2010
Time allowed upto 31.08.2010, failing which, closure directions be confirmed.
Reply was received on 31.08.2010.
Inspection of your unit was conducted on 29.10.2010.
Observations:
1. Motel (8 rooms) with one Banquet & one party lawn is operational. However, no function is going on.
2. STP found installed. No flow available to chek the function of STP.Technical adequecy obtained as replied. Treated effluent shall be reused 100% as reported.
3. D.G sets found with accoustic enclosue but stack height inadequate.
4. Rain water harvesting pit installed 02 nos.
Bore well connection exist= 02 nos
Reply was received on 02.11.2010.
As per the decision taken up by Competent Authority SCN u/s 21/22 of Air and u/s 25/26 water act was sent on 22.11.2010 and in response on this letter reply was received on 20.01.2011.
	Ask the unit to submit bank guarantee of Rs. One Lakh each under Air Act and Water Act valid for one year. If unit submits the bank guarantee, consent to establish be issued. Also the unit be directed to submit consent to operate immediately. 
	Ask the unit to submit bank guarantee of Rs. One Lakh each under Air Act and Water Act valid for one year. If unit submits the bank guarantee, consent to establish be issued. Also the unit be directed to submit consent to operate immediately. 
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	33420
	05-04-2010
	KUKREJA ENGINEERS
	H-1201, DSIDC
	NARELA INDUSTRIAL AREA
	mfg. of luminaries & street lighting equipments (without anodizing, painting, phosphating & reflector polishing.)
	 CTR (Y) issued on 19.10.2006 and valid upto 22.11.2008 Vide C.No.17314.
CTO (P) applied on 18.05.2010 Vide Id.no.33908.
	 
	 
	Action already under process on the file in view of the High Court orders. 
	File be put up administratively. 
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	33421
	05-04-2010
	NEERU CABLES (INDIA) NEROLEX HOUSE
	H-1202, DSIDC
	NARELA INDUSTRIAL AREA
	Mfg. of welding, PVC & XLPE wire and cable.
	CTE (Y) issued on 01.06.2010 and valid upto 31.05.2011 Vide C.No.23799.
CTO (Y) issued on 17.09.2010 and valid upto 07.09.2012 Vide C.No.25571
	19.08.2010 Issue consent to operate.
	CTO issued on 17.09.2010 and valid upto 07.09.2012.
	Consent application be made infructuous as consent to establish already issued. 
	Consent application be made infructuous as consent to establish already issued. 
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	33507
	12-04-2010
	IGLOO INDIA (PVT) LTD.
	SHED NO 51, DSIDC, PHASE-I
	OKHLA INDUSTRIAL AREA
	Assembling & Repairing of Air Conditioner, Chiller & Trading of Air Conditioner
	Pending
	In Earlier CTE        
        16.03.2009
Ask the unit to file permission from CGWA for extracting the ground water and adequacy report from empanelled consultants of DPCC and NMR of DG Set from approved laboratories of DPCC. Call on 29.04.09
       11.05.2009
Call for personel hearing on 12.06.2009
      12.06.2009
During personel hearing unitr stated that ETP is installed but not functional due to lack of order. Ask to submit the affidavit  confirming that he is not extracting Ground water and ETP is not in use and that dismantled D.G. Set will be removed within week time.
           13.11.09
Issue Consent to Establish. Subsequently, inspection be conducted.
         12.02.10/ 15.02.10
Issue revokation of consent and closure direction.
                 142nd
Ask the unit to submit Bank Guarantee of Rs. One Lakh under Water Act valid for one year. If the unit submits the Bank Guarantee, closure directions may be revoked and consent to establish may be granted. 
                  147th6.03.2009
Ask the unit to file permission from CGWA for extracting the ground water and adequacy report from empanelled consultants of DPCC and NMR of DG Set from approved laboratories of DPCC. Call on 29.04.09
       11.05.2009
Call for personel hearing on 12.06.2009
      12.06.2009
During personel hearing unitr stated that ETP is installed but not functional due to lack of order. Ask to submit the affidavit  confirming that he is not extracting Ground water and ETP is not in use and that dismantled D.G. Set will be removed within week time.
           13.11.09
Issue Consent to Establish. Subsequently, inspection be conducted.
         12.02.10/ 15.02.10
Issue revokation of consent and closure direction.
                 142nd
Ask the unit to submit Bank Guarantee of Rs. One Lakh under Water Act valid for one year. If the unit submits the Bank Guarantee, closure directions may be revoked and consent to establish may be granted. 
                  147th
Seek compliance report from concerned agencies.
	Earlier CTE valid up to 07.12.10 vd id no. 22280.
CTO not applied.

Closure Directions u/s 33 (A) of the water Act & Revokation of the consent to Establish were issud on 26.03.10. 

Letter issued on 13.07.10. No reply received.
 
Letter issued to the concerned agencies (MCD, BSES and DJB) on 29.09.10.
Unit submitted Bank garantee of Rs.1 Lakh but proper facts has not been mentioned on 02.11.10 in response to the letter.

As approved, original Bank garantee of Rs.1 Lakh returned with a letter to submit correctted Bank Garantee along with copy of Bank Garantee format issued on 08.12.10.

Unit submitted Bank Garantee on 30.12.10
	Recommended for revocation of closure directions and for grant of consent to establish. 
	Revoke closure directions and issue consent to establish. Subsequently, inspection be conducted within 03 months.
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	33544
	15-04-2010
	KATYAL GARDEN
	KH. NO 46/1,46/2 & 46/3, VILLAGE BAKAULI, BAKHTAWAR ROAD
	NC-NW
	farm hose (A party lawn)
	CTE (P) applied on 15.04.2010 Vide Id.No.33544.
CTO Y) issued on 25.01.2011 and valid upto 23.09.2010 Vide C.No.26778.
	21.01.2011 Issue consent ot operate and consent to establish. Inform to DJB regarding ground water extraction.
	Letter was sent on 22.03.2011.
	Implement the CMC(Orange) decision dated 21.01.2011 in toto.
	No action as decision implemented.
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	33610
	22-04-2010
	ASHA FARM
	KH. NO 54/22/1(3-3), PALLA BAKHTAWARPUR ROAD
	NC-NW
	Party Lawn for marriages & other social fuctions etc.
	CTE (P) applied on 22.04.2010 Vide Id.No. 33610
	13.08.2010 issue SCN for refusal of consent.
	SCN for refusal was sent on 01.11.2010 and in response of this letter reply was received on 26.11.2010.
As per the decision taken up by Competent Authority Revocation of closure directions was sent on 03.03.2011.
	Ask the unit to submit the proper permission from the MCD.
	Ask the unit to submit the proper permission from the MCD.
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	33707
	29-04-2010
	GUPTA ENGINEERING WORKS
	PLOT NO F-1828, DSIDC
	NARELA INDUSTRIAL AREA
	Mfg. of steel metal productes, wire drawing & casting of ferrous & non ferrous metal
	CTE (P) applied on 29.04.2010 Vide Id.No.33707.
	13.08.2010 Inspection be expedited.
	 
	Implement the CMC(Orange) decision dated 13.08.2010.
	Inspection done. Issue consent to establish with use of pit furnace only. 

	35
	33708
	29-04-2010
	GUPTA METAL & WIRE PRODUCTS
	PLOT NO 85, POCKET-N, SECTOR-1, DSIDC
	BAWANA INDUSTRIAL AREA
	Mfg. of Steel wires, Sheet metal products, wire drawing & Casting of ferrous & Non ferrous Metal
	 
	26.05.2010
Inspection be conducted w.r.t. detailed mfg. process.
	BUA: 60 sqm
GW: Nil
Water Consumption: 200 lit/day
Waste Water:
(a) domestic effluent: 150 lit/day
(b) Trade Effluent:Nil
Year of  estblishment: June, 2010

Inspection conducted on 08.07.2010. 
1) the unit was found under construction.

A letter for clarification of the detailed manufacturing process issued to the unit on 20.12.2010.
No reply received.
	Issue SCN for refusal of consent.
	Issue SCN for refusal of consent.
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	33764
	05-05-2010
	J.J.V. MARKETING & HOTELS PVT. LTD
	NITESH KUNJ, 22, MILESTONE, N.H.-8, VILLAGE SAMALKA
	NC-SW
	Hotels ( preparation & Serving of meals)
	 
	Decision on 26.05.2010

Ask the unit to submit valid MCD health licence and Delhi Police licence.
Decision on 13.08.2010
Issue reminder.
	Built up area:- 3000.789 sqm.
Date of starting of construction:- Oct, 2009
Date of completion of construction : April, 2010
D.G Set of 1 X 500 KVA proposed.
Trade effluent:    Nil              
GW : 4.5 KLD     

Reminder issue to the unit on 17.09.2010.
Unit submitted its reply on 10.01.2011 along with a copy of D.D.A. sanction building plan for motel of J.J.V. Marketing & Hotel Pvt. Ltd.
	Recommended for grant of consent to establish. 
	Issue consent to establish. 
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	33880
	14-05-2010
	AAR GEE POWER CONTROL
	PLOT NO 54, POCKET-J, SECTOR-2, DSIDC
	BAWANA INDUSTRIAL AREA
	Mfg. of electrical and electronics power control panels with phosphating
	CTE earlier issued on 19.11.2009 and expired on 18.11.2010.
	26.07.2010
Ask the unit to submit Bank Guarantee of Rs. 1 Lakh each under Air Act, Water Act and HWM Rules valid for one year. If, unit submits the Bank Guarantee, closure directions be revoked and consent to establish be issued.
	BUA: 200 sqm
GW: Nil
Water Consumption: 1100 lit/day
Waste Water:
(a) domestic effluent: 50 lit/day
(b) Trade Effluent:800 lit/day
Year of  estblishment: Aug, 2010.
CTE issued on 19.11.09
Earlier closure directions issued.
 Letter for Submission of BG issued to the unit on 30.09.2010.
No reply received til date.
	Seek compliance for disconnection of electricity / water supply.
	Seek compliance for disconnection of electricity / water supply.
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	33897
	18-05-2010
	BLUFOX INTERNATIONAL
	11-A, GALI NO 4
	FRIENDS COLONY INDUSTRIAL AREA
	Mfg. of bakelite powder
	Letter for CTE issued to unit on  05.05.2010.
CTO issued on 06.06.06.
Applied for CTR on 27.07.07
	16.03.2010
Ask the unit to apply for CTE
26.07.2010
Call for personal hearing on 30.07.2010 at 5.00 PM.
	BUA:  SQ Yards.
Water Consumption :Lts/Day.
GW:Nil.
Waste Water generation : 
(a) Domestic effluent:  Lt/Day
(b) Trade effluent: NIL
Date of Commissioning: 1996
ETP :  N/A.
Test Report (Water) within limit : N/A.  
Test Report (Air) within limit : Yes.
SMR: yes
D.G.SET:  nil 
NMR submitted :N/A
Reply received on 30.11.2010.Wet scrubber has been installed in premises.
	Case may be discussed before CMC(Orange).
	Ask the unit to submit adequacy report of Emission Control System (ECS) from empanelled consultant of DPCC. 
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	33926
	20-05-2010
	R.S. GARMENTS
	D-4/3, PHASE-II
	OKHLA INDUSTRIAL AREA
	Manufacturing of Readymade garments. 
	Pending
	         In CTE application (refused),
          20.10.09
Inspection by Trainee, CMC be conducted.
       12.02.2010 / 15.02.2010
Refusal of consent and issue closure directions to M/s R.S. Garments
Closure directions to M/s Pooja Fashion and issue SCN for closure to M/s Solar Printing Press.
                   26.05.10
Decision taken on file to seek the Bank Guarantees of Rs. One Lakh each under Air Act and Water Act valid for one year separately from both the units namely M/s R.S. Garments and M/s Pooja Fashion and to ask M/s R.S. Garments to apply for consent to establish and consent to operate under orange category, and to revoke the closure directions issued on 26.03.2010, if the units do so and to conduct inspection in case of M/s Solar Printing Press ratified.
                     26.07.2010
Consent application be made infructuous as unit has again applied for consent to establish on 10.06.2010
                   30.09.10(In CTO File)
Issue consent to operate
                   09.11.10
Inspection report be put up along with the consent to operate application in chronology
	1. Comencement-01.07.10
2. Trade effluent- nil 
3. DG- 110 kva.
4. Boiler- 1 diesel fired boiler exist.
5. Earlier CTE refused on 25.03.10 vd. Id. No. 1984. As per the enquiry counter record, Unit has applied CTE two times i.e. CTE dt. 10.06.10 vd. Id. No. 34164 & CTE dt. 20.05.10 vd. id. no. 33926. CTO not applied.
6.  Bank Guarantees of Rs. 1 Lakh each under  Air Act & Water Act valid for 
one year submitted on 08.06.10.

Inspection carried out on 06.08.10 & following were observed:
1. Unit found in operation at basement, Ist, IInd & IIIrd floors.
2. No washing of garment activity observed during inspection.
3. As reported M/s Solar Print Process Pvt Ltd has closed down the activity from basement of premises & removed plant and machienry.

 Unit applied for authorization under HWM Rules on 15.10.10 vd ID 0453
Letter dated 01.09.2010 issued to infructuous the CTE application dated 20.05.2010 in compliance of CMC decision dated 26.07.2010.
 CTO issue on 26.10.10 vd CNO 25888
	Inform Enquiry Counter regarding decision dated 26.07.2010.
	Inform Enquiry Counter regarding decision dated 26.07.2010.
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	33928
	20-05-2010
	BISLERI INTERNATIONAL PVT.LTD
	60,SHIVAJI MARG
	NAJAFGARH ROAD INDUSTRIAL AREA
	Maunfacturing of Packaged Drinking Water
	Earlier unit has applied for CTO on 02.03.07. 
Applied for CTO on 31.08.2010 vide ID no 34991.
	Decision on 11.05.09.
Call for personal hearing on 03.06.09 at 5.00 PM.
Decision on 03.06.09
The unit came for personal hearing today. During inspection, 03 bore-well were gound existing for which unit is required to seek permission from DJB as per new order. The unit is drawing huge quantam of ground water and a substantial portion is discharged as reject water from RO. The unit should install tertiary treatment plant for backwash (reject water from RO) and the water should be reutilized.  Call on 22.07.09.
Decion on 26.07.2010
Issue SCN for refusal of consent
Dicision on 25.11.2010
Ask the unit to submit the steps taken w.r.t. tertiary treatment with documentary proof within 15 days. 
	Built up area: 3200 sqm
Year of establishment: 1994
D.G set: 2X380 KVA
Trade effluent: Nil

SCN issued on 26.08.2010
Unit submitted its reply on 07.04.2011 with an adequacy report of ETP.
	File be put up administratively. 
	Ask the unit to clarify how the treated water having the TDS level of about 9000 mg/l is reused and put up the case in next CMC along with the reply. 
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	33940
	21-05-2010
	NOVA CHEMAUXI (INDIA)
	D-169, POCKET-D, SECTOR-3, DSIDC
	BAWANA INDUSTRIAL AREA
	mfg. of textiles softner &liquid Soap
	 
	30.07.2010
I nspection be conducted.
	Water Consumption :430lpd
Waste Water generation : 
(a) Domestic effluent: 30lpd 
(b) Trade effluent: 400 lpd
Date of Commissioning:Nov. 2009
ETP : yes
STP : No
Test Report (Water) within limit : submitted.  
Test Report (Air) within limit : NA  
NMR submitted : NA

Inspection was conducted on 11.01.2011 and it was found that:
i) The unit was found in operation and engaged in the work of making textile softner and liquid soap reportedly used in textile processing Ind for making fabric soft.
ii) Raw material such as non-ionic emulsifiers, softner flask strearic acid, acetic acid, amino silicone,DM water being mixed in barrels by mixers (mehanical stirers) to make textile softner and liquid soap, quantity of the raw material reportedly as per the concentration required.
iii) ETP found installed in operating condition.(Batch type). However, the same was not in operation. As informed byu the person contacted, the ETP is being operated once in 10 days as the quantity of the trade effluent generated is low.
iv) Log book found maintained and shows that they have operated the ETP on 30.12.2010.
v) The sludge from the ETP was found stored in plastic container.
	Implement the CMC(Orange) decision dated 31.03.2011.
	Decision implemented. No action. 
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	33964
	24-05-2010
	THUKRAL & CO.
	C-18/1
	WAZIRPUR INDUSTRIAL AREA
	Mfg. of crockery and button.
	CTE (P) applied on 24.05.2010 Vide Id.No. 33964.
CTR ( R ) issued on 18.08.2004 Vide Refusal No. 345
CTO (Y) issued on 01.04.2005 and valid upto 30.09.2005 Vide C.No.12466.
CTR (Y) issued on 17.09.2010 and valid upto 03.01.2013 Vide C.No. 25560
	19.08.2010
Issue renewal of consent.
	 
	Implement the CMC(Orange) decision dated 30.07.2010
	No action as decision implemented.

	43
	33992
	26-05-2010
	N.P. ART
	B-34/12
	GTK ROAD INDUSTRIAL AREA
	Offset Printing W/O Trade effluent.
	CTR (Y) issued on 17.09.2010 and valid upto 06.01.2013 Vide C.No. 25559.
CTE (P) applied on 26.05.2010 Vide Id.No.33992.
	23.03.2010 Ask the unit to apply for Consent to Establish
	Letter was sent on 26.04.2010.
	Implement the CMC(Orange) decision dated 30.07.2010
	No action as decision implemented.

	44
	34067
	02-06-2010
	YORKS GRIP (INDIA) PVT. LTD.
	D-5
	SMA INDUSTRIAL AREA
	Mfg. of PVC Electrical Insulation tape.
	CTE (P) applied on 02.06.2010 Vide Id.No.34067.
CTO (Y) issued on 12.06.2003 and valid upto 11.03.2006 Vide C.NO.5625.
CTR (P) applied on 07.06.2006 Vide Id.No.18402.
CTR (P) applied on 12.01.2010 Vide Id.No.34067.
	23.03.2010 Ask the unit to apply for Consent to Establish
	Letter was sent on 26.04.2010.
	Inspection be expedited as decided in CMC dated 30.07.2010 / 19.08.2010
	Inspection done. Issue consent to establish. 

	45
	34088
	03-06-2010
	LOTUS GARDEN
	KH. NO 43/23(4-16) 24(4-16), PALLA BAKHTAWARPUR, G.T.K. ROAD
	NC-NW
	Hospitality
	CTE (P) applied on 03.06.2010 Vide Id.No.34088.
	30.07.2010 Ask the unit to submit status report w.r.t installation of ETP and adequecy report.
	As per the decision taken up by Competent Authority letter was sent on 20.09.2010.
No reply received on 05.10.2010.
Revocation for closure was sent on 01.11.2010
	Recommended for grant of consent to establish. Subsequently, inspection be conducted. 
	Issue consent to establish. Subsequently, inspection be conducted. 

	46
	34092
	03-06-2010
	HINDUSTAN PETROLEUM CORPORATON(A GOVT. OF INDIA ENTERPRISES)
	SHAKURBASTI INSTALLATION, ROHTAK ROAD
	NC-W
	Storage, refilling & distribution of petroleum products
	Earlier CTO issued valid upto 09.11.2009.
Applied  for CTO_R on 16.09.2009 vide ID no 31466.
Unit applied for renewal of HWM rules on 13.03.2009 vide ID no 4970.
	Decision on 11.05.09.
Isue final reminder for full compliance of earlier CMC decision with direction to seek permission for ground water extraction from DJB. Call on 24.06.09.
Decision on 24.06.09.
Issue SCN for revocation of Consent.
Decision on 07.10.09.
Refer to DJB for ground water extraction. Also ask the unit to apply for Consent to Establish.
Decision on 25.01.10.
Issue final reminder.
Decision on 30.07.2010
Ask the unit to submit the status of the action taken w.r.t. shifting to the location between Ghevra and Tikri Kalan as per provisions of MPD-2021.
Decision on 19.08.2010
Ask the unit to submit the status of the action taken w.r.t. shifting to the location between Ghevra and Tikri Kalan as per provisions of MPD-2021.
	Plot Area-56796 sq.m
Trade effluent-nil
DG set-320,200,75 KVA 
NMR not submitted 


Letter issued to the unit on 07.10.2010. 
Unit submitted its reply dated 13.10.2010 and stated that Tikri kalan project is under process for the re-sitement of existing facilities at Shakurbasti Installation and will be ready by March 2011.
	Present status be confirmed from the unit  with the advice to seek consent to establish at the new proposed site.  Also ask the unit to evaluate its activities at the present location in view of the shifting proposed, w.r.t. the requirement of the consent under the provisions of the Air Act and Water Act. 
	Present status be confirmed from the unit  with the advice to seek consent to establish at the new proposed site.  Also ask the unit to evaluate its activities at the present location in view of the shifting proposed, w.r.t. the requirement of the consent under the provisions of the Air Act and Water Act. 

	47
	34163
	10-06-2010
	ALBION CONSULTING  PVT. LTD.
	F-90/12,  PHASE-I
	OKHLA INDUSTRIAL AREA
	The Artisan activity hold and Pricious metal like gold smithing, Manufacturing gold, silver, platinum and studded Jewellary
	Pending
	30.07.10
Inspection be conducted.
07.02.10
Issue SCN u/s 31(A) of the Air Act, u/s 33(A) of the Water Act & u/s 5 of the EPA to M/s Albion Consulting Pvt. Ltd.
Issue SCN u/s 31(A) of the Air Act, u/s 33(A) of the Water Act & u/s 5 of the EPA to M/s Digital Graphics India Pvt. Ltd.
	SCN u/s 31(A) of the Air Act, u/s 33(A) of the Water Act & u/s 5 of the EPA to M/s Albion Consulting Pvt. Ltd issued on 06.04.11

SCN u/s 31(A) of the Air Act, u/s 33(A) of the Water Act & u/s 5 of the EPA to M/s Digital Graphics India Pvt. Ltd issued on 06.04.11.
	Put up in next CMC.
	Reply received from both the units. Ask the unit namely M/s Albion Consulting Pvt. Ltd. to submit bank guarantee of Rs. 50,000 each under Air Act, Water Act and HWM Rules valid for one year along with an affidavit stating that unit will not carry out any water polluting activity and will not use D.G. Set. 
Ask the unit namely M/s Digital Graphics India Pvt. Ltd. to submit bank guarantee of Rs. 50,000 each under Air Act, Water Act and HWM Rules valid for one year.

	48
	34181
	11-06-2010
	VABROS (I) PVT.  LTD.
	PLOT NO236, FIE
	PATPARGANJ INDUSTRIAL AREA
	Electrical goods
	CTO issued under Green on 26.12.02. Expired on 25.07.07
	30.07.2010:
Inspection be conducted.
9.11.2010
Issue consent to establish, if unit submit report for instalaltion of acoustic enclsoure of the D.G. Set. 
	BUA:  300 SQ mts.
Water Consumption : 100 Lts/Day.
Waste Water generation : 
(a) Domestic effluent:  50 Lt/Day
(b) Trade effluent: NIL
Date of Commissioning:
ETP :  N/A.
Test Report (Water) within limit : N/A.  
Test Report (Air) within limit : Yes.
D.G.SET:  20 KVA
NMR submitted :No
Letter issued on 27.12.10 for installation of acoustic enclosure of D.G. set.
	Issue SCN u/s 31(A) of the Air Act in view of the D.G. Set found without acoustic enclosure and no response to the letter dated 27.12.2010 issued. 
	Issue SCN u/s 31(A) of the Air Act in view of the D.G. Set found without acoustic enclosure and no response to the letter dated 27.12.2010 issued. 

	49
	34234
	17-06-2010
	CHOPRA METAL WORKS
	B-31
	GTK ROAD INDUSTRIAL AREA
	Mfg. Zip slider with casting & acid wash
	CTR (Y) issued on 07.05.2004 and valid upto 26.01.2007 Vide C.No. 10359.
CTR (P) applied on 24.01.2007 Vide Id.No.20520.
CTR (P) applied on 19.01.2010 Vide Id.No.32484.
	 
	 
	Ask the unit to submit affidavit for rectification of the deficiencies  and bank guarantee of Rs. 50,000 each under Water Act, Air Act and HWM Rules valid for one year. 
	Ask the unit to submit affidavit for rectification of the deficiencies  and bank guarantee of Rs. 50,000 each under Water Act, Air Act and HWM Rules valid for one year. 

	50
	34235
	17-06-2010
	M.I. TRADERS
	D1/214, PHASE-II
	MAYAPURI INDUSTRIAL AREA
	DISMANTLE & TRADING OF ELECTRICAL & ELECTRICAL SCRAPS
	 
	Decision on 30.07.2010
Issue SCN for refusal of consent in view of MPD-2021.
	Year of commencement : july, 2010
D.G. Set : nil
Trade eff: nil

SCN for refusal of consent issued to the unit on 13.09.2010.
Reply awaited.
	Consent refused.
	Consent refused.

	51
	34249
	18-06-2010
	S.P. UDYOG
	B-9
	GTK ROAD INDUSTRIAL AREA
	Auto Parts with injection moulding.
	CTO issued on 29.09.2003 and valid upto 03.09.2006 Vide C.No. 7913.
CTR (P) applied on 27.11.2006 Vide Id.No. 19947.
CTR issued on 17.09.2010 and valid upto 25.11.2012 Vide C.No. 25563.
	27.04.2010 ask the unit to apply for consent to establish.
	Letter was sent on 02.06.2010 and in response of this letter reply was received on 18.06.2010.
	Implement the CMC(Orange) decision dated 30.07.2010
	No action as decision implemented.

	52
	34287
	21-06-2010
	CENTURY IMPEX
	A-101/3, PHASE-II
	OKHLA INDUSTRIAL AREA
	Manufacturing of readymade garments with washing
	Pending
	             30.07.10
Ask the unit to submit Bank Guarantee of Rs. 50,000 each under Air Act and Water Act valid for one year.
	CTE cancelled on 14.09.09 vd id no. 335.
Letter issued to submit Bank Guarantee on 06.09.10.
Unit submitted Bank Guarantee on 27.09.10
	Inspection be conducted as the unit has not submitted the information regarding trade effluent and boiler. 
	Inspection be conducted as the unit has not submitted the information regarding trade effluent and boiler. 

	53
	34314
	24-06-2010
	GAURAV FOODS
	F-1705, DSIDC
	NARELA INDUSTRIAL AREA
	flour mill.
	CTO (Y) issued on 02.07.2004 and valid upto 25.07.2005 Vide C.No.10992.
CTR (P) issued on 30.10.2006 Refusal No.1482.
CTR (P) applied on 11.01.2010 Vide Id.no.3238.
CTE (P) applied on 24.06.2010 Vide Id.No.34314.
	19.08.2010 Issue SCN to the unit stating as to why the necessary action shoul not be initiated under the provision of the law as the unit has submitted the affidavit on the stamp papers purchased in the name of DPCC.
	Letter was sent on 11.10.2010.
 No reply received.
	Issue SCN for refusal of consent. 
	Ask the unit to submit fresh affidavit prescribed for consent to establish on the proper stamp paper. 

	54
	34364
	01-07-2010
	SHREE NATHJI ROLLER FLOUR MILLS LTD.
	C-43/3
	LAWRENCE ROAD INDUSTRIAL AREA
	Mfg. of Atta, Maida, Suji & Bran
	CTE (P) applied on 01.07.2010 Vide Id.No.34364.
CTR (Y) issued on 24.10.2005 and valid upto 29.12.2007 Vide C.NO.13288.
CTR (P) applied on 03.12.2007 Vide Id.No.24373.
CTR (P) applied on 27.12.2010 Vide Id.No.34364.
	06.09.2010 issue consent to establish.
	 
	Implement the CMC(Orange) decision dated 06.09.2010 for issuance of consent to establish. 
	No action as decision implemented.

	55
	34370
	01-07-2010
	SHYAM LAL
	E-761, DSIDC
	NARELA INDUSTRIAL AREA
	mfg. of plastic products.
	CTE (P) applied on 01.07.2010 Vide Id.No.34370.
	06.09.2010 Issue SCN to the unit stating as to why the necessary action should not be initiated under the provision of the law as the unit has submitted the affidavit on the stamp papers purchased in the name of DPCC.
	Letter was sent on 13.10.2010.
No reply received.
	Issue SCN for refusal of consent.
	Ask the unit to submit fresh affidavit prescribed for consent to establish on the proper stamp paper. 

	56
	34372
	01-07-2010
	SHIVAM INDUSTRIES
	E-761, DSIDC
	NARELA INDUSTRIAL AREA
	mfg. of plastic products.
	CTE (P) applied on 01.07.2010 Vide Id.No.34372.
	06.09.2010 Issue SCN to the unit stating as to why the necessary action should not be initiated under the provision of the law as the unit has submitted the affidavit on the stamp papers purchased in the name of DPCC.
	Letter was sent on 13.10.2010.
No reply received.
	Issue SCN for refusal of consent.
	Ask the unit to submit fresh affidavit prescribed for consent to establish on the proper stamp paper. 

	57
	34374
	01-07-2010
	SANJAY ICE MANUFACTURING CO.
	A-122, DSIDC
	NARELA INDUSTRIAL AREA
	mfg. of ice blocks.
	CTE (P) applied on 01.07.2010 Vide Id.No.34374.
	06.09.2010 Issue SCN to the unit stating as to why the necessary action should not be initiated under the provision of the law as the unit has submitted the affidavit on the stamp papers purchased in the name of DPCC.
	Letter was sent on 13.10.2010.
No reply received.
	Issue SCN for refusal of consent.
	Ask the unit to submit fresh affidavit prescribed for consent to establish on the proper stamp paper. 

	58
	34379
	02-07-2010
	S.K. INTERNATIONAL
	PLOT NO H-1350, DSIDC
	NARELA INDUSTRIAL AREA
	mfg. of injection moulded goods.
	CTE (P) applied on 02.07.2010 Vide Id.No.34379.
CTO (P) applied on 13.07.2006 Vide Id.No.18783.
CTO (P) applied on 04.01.2010 Vide id.No.34379.
	06.09.2010 Issue SCN to the unit stating as to why the necessary action should not be initiated under the provision of the law as the unit has submitted the affidavit on the stamp papers purchased in the name of DPCC.
	Letter was sent on 13.10.2010.
Reply received on 26.11.2010.
	Ask the unit to submit the fresh affidavit on a proper stamp paper. 
	Ask the unit to submit the fresh affidavit on a proper stamp paper. 

	59
	34391
	05-07-2010
	B.M. MOTOR
	A-45, PHASE-II
	MANGOL PURI INDUSTRIAL AREA
	Mfg. of electrical goods with phosphating and powder coating.
	CTE (Y) issued on 04.12.2009 and valid upto 03.12.2010 Vide C.NO.22218.
CTE (P) applied on 05.07.2010 Vide Id.No.34391.
CTO (P) applied on 21.01.2011 Vide Id.No.36293.
	06.09.2010 Implement the CMC's dcision dated 27.08.2010.
	As per the decision taken up by Competent Authority letter was sent on 15.11.2010.
No reply received.
	Issue final reminder for submission of bank guarantee. 
	Issue final reminder for submission of bank guarantee. 

	60
	34392
	05-07-2010
	DABBU PLASTIC
	PLOT NO 32, SECTOR-5, POCKET-A, DSIDC
	BAWANA INDUSTRIAL AREA
	Plastic Waste with washing (without reprocessing )
	CTE valid from 11.02.2003 to 10.02.2004.
CTE valid from 21.01.2004 to 20.01.2007.
CTR Applied on 26.12.2006.
CTR Applied on 14.12.2009.
CTE Applied on 05.07.2010. 
CTO Applied on 06.07.2010. 
	21.01.2011
Ask the unit to submit Bank Guarantee of Rs. 50,000 under Air Act and Water Act valid for  one year and stack moitoring report of system installed on grinding section from approved laboratory of DPCC. If unit submits the same, consent to operate and consent to establish be issued.
	Water Consumption :700 ltr/day
Waste Water generation : 
(a) Domestic effluent: 150 ltr/day
(b) Trade effluent: 500   ltr/day
(c) Ground Water : Nil.
Date of Commissioning: SEPT 2003
ETP :  YES
Test Report (Water) within limit :YES
Test Report (Air) within limit :  NA
NMR submitted : N/A
SCN for refusal and SCN for Closure issued to the unit on 9-6-2010
Reply on 25-06-2010 stating that the ETP has been installed & has placed order for adequacy and test report with Guru Govind Singh Indrapastha University, installed well designed stack with hopper & exhaust system, bore well is not in working condition, have a 4 KVA DG Set & submitted that 4 KVA DG set don’t come under acoustic but if department suggest to cover it with acoustic, he will do so.

Letter for BG issued to the unit on 25.02.2011.
Reply received on 11.03.2011
BG submitted on 21.03.2011 and a letter stating that they have placed the order for Stack monitoring report from GGSIU. 
	Reminder for complete compliance of the CMC's decision dated 21.01.2011
	Reminder for complete compliance of the CMC's decision dated 21.01.2011

	61
	34396
	05-07-2010
	TRIBHUVAN METAL INDUSTRIES
	C-59/1
	WAZIRPUR INDUSTRIAL AREA
	Mfg. of aluminium sheet
	CTE (P) applied on 05.07.2010 Vide Id.No.34396.
CTO (P) applied on 04.01.2011 Vide Id.No.36145.
	06.09.2010 Decision deferred till clarification from DDA.
	 
	Decision deferred as confirmity issue w.r.t. MPD-2021 under consideration. 
	Decision deferred as conformity issue w.r.t. MPD-2021 under consideration. 

	62
	34426
	07-07-2010
	S.R. MOTEL & RESORT (CARNIVAL)
	MAIN G.T.K. ROAD, ALIPUR
	NC-NW
	Party Law for Marriages & other social functions.
	CTO (P) applied on 08.03.2011 Vide iD.No. 36638.
	26.05.2010 issue directions u/s 31 (A) of the air act and 33 (A) of the Water Act to stop carrying out commercial activity immediately and to install pollution control devices and to submit an affidavit in this regard within 45 days.
	Letter was sent on 30.06.2010 and in response on this letter reply was received on 22.07.2010.
06.09.2010
Issue consent to establish subject to submission of BG of Rs one lakh each under Air and Water Act.
	Implement the CMC(Orange) decision dated 06.09.2010.
	Issue SCN for refusal of consent.

	63
	34439
	08-07-2010
	VISHNU CABLE INDUSTRIES
	E-669, DSIDC
	NARELA INDUSTRIAL AREA
	mfg. of PVC wire and cables.
	CTE (P) applied on 08.07.2010 Vide Id.No.34439.
	06.09.2010 Issue SCN to the unit stating as to why the necessary action should not be initiated under the provision of the law as the unit has submitted the affidavit on the stamp papers purchased in the name of DPCC.
	Letter was sent on 13.10.2010.
No reply received.
	Issue SCN for refusal of consent.
	Ask the unit to submit fresh affidavit prescribed for consent to establish on the proper stamp paper. 

	64
	34461
	09-07-2010
	LEE GARDEN UNIT OF R.K. CATERERS
	MAIN G.T. KARNAL ROAD, OPP. JAIN MANDIR, NANGLI POONA
	NC-NW
	A party lawn/ Motel cap:-500-600 Person/Occasion.
	CTE applied on 09.07.2010 Vide Id.No.34461.
	26.05.2010 closure direction be issued.
	Directions for closure was sent on 30.06.2010.
Reply was received on 09.07.2010 and 20.07.2010.
Letter for submission of bank guarantee was sent on 27.07.2010. 
Reply was received on 19.07.2010.
Revocation of closure direction was sent on 02.08.2010.
Reply received on 06.12.2010.
	Recommended for grant of consent to establish. 
	Issue consent to establish. Ask the unit to apply for consent to operate immediately. Subsequently, inspection be conducted within 03 months. 

	65
	34491
	13-07-2010
	ROYAL GARDEN
	KH. NO 210-21/8, G.T. KARNAL ROAD, MUKHMEL PUR
	NC-NW
	Farm house
	CTO (P) applied on 21.02.2011 Vide Id.No. 36527.
	13.08.2010 Ask the unit to submit Bank Guarantee of Rs. One Lakh each under Air Act and Water Act valid for one year along with affidavit stating that unit will not operate its operation till installation of pollution control measures within 15 days. Thereafter, unit will submit an adequacy report and effluent analysis report of ETP from approved consultant / laboratory of DPCC and noise monitoring report of acousticaly treated D.G. Set from approved laboratory of DPCC. 
	Letter was sent on 06.09.2010.
Reply was received on 29.10.2010.
	Ask the unit to submit the specific permission from MCD for running the commercial activity in Farm House. 
	Ask the unit to submit the specific permission from MCD for running the commercial activity in Farm House. 

	66
	34492
	13-07-2010
	KAILASH FARM
	KH. NO 237,238,239,240,241, VILLAGE MUKHMELPUR, G.T. KARNAL ROAD
	NC-NW
	Farm house cum party lawn
	CTE (P) applied on 13.07.2010 Vide Id.No.34492.
CTO (P) applied on 04.01.2011 Vide Id.No.36137.
	13.08.2010 Ask the unit to submit Bank Guarantee of Rs. One Lakh each under Air Act and Water Act valid for one year along with affidavit stating that unit will not operate its operation till installation of pollution control measures within 15 days. Thereafter, unit will submit an adequacy report and effluent analysis report of ETP from approved consultant / laboratory of DPCC and noise monitoring report of acousticaly treated D.G. Set from approved laboratory of DPCC. 
	Letter was sent on 06.05.2010.
Reply was received on 27.09.2010.
	Ask the unit to submit the specific permission from MCD for running the commercial activity in Farm House. 
	Ask the unit to submit the specific permission from MCD for running the commercial activity in Farm House. 

	67
	34550
	19-07-2010
	SHARP MENTHOL INDIA LTD
	C-03
	SMA INDUSTRIAL AREA
	Mfg. of menthol and its allied products.
	CTE (P) applied on 19.07.2010 Vide Id.No.34550.
CTO (P) applied on 22.11.2010 Vide Id.No.35699.
	21.01.2011 Clarification may be asked from CPCB because distilation is involved in process.
	Letter was sent on 16.03.2011.
No reply received.
	Issue reminder to CPCB.
	Issue reminder to CPCB.

	68
	34591
	22-07-2010
	KALA MANDIR PAINTS AND CHEMICALS
	GI-15
	GTK ROAD INDUSTRIAL AREA
	Mfg. of industrial paints.
	CTE (P) applied on 22.07.2010 Vide Id.No.34591.
CTO (Y) issued on 05.08.2003 and valid upto 22.07.2005 Vide C.No.7067.
CTR (P) applied on 22.07.2010 Vide Id.No.34591.
	06.09.2010 Ask the unit to apply for authorization undet HWM Rules. Also ask the unit to submit Bank guarantee of Rs 50,000 under HWM Rules. If unit submits the Bank guarantee and authorization application. Consent to establish be issued.
	Letter was sent on 20.10.2010.
No reply received.
	Issue final reminder for compliance of earlier CMC's decision dated 06.09.2010.
	Issue final reminder for compliance of earlier CMC's decision dated 06.09.2010.

	69
	34592
	22-07-2010
	SHYAM ENGINEERING CO.
	PLOT NO 3, POCKET-O, SECTOR-2, DSIDC
	BAWANA INDUSTRIAL AREA
	Sheet Metal Works.
	 
	06.09.2010
Inspection be conducted.
	BUA :  150 sq. mts.
GW: Nil litres./Day
Water Consumption : 100 Litres/day
Waste Water generation : 
(a) Domestic effluent: Nil
(b) Trade effluent: Nil
Date of Commissioning: Oct, 2010.
Inspection was conducted by DPCC officials on 28.12.2010 and it was found that:
1) The unit was found in operation.
2) No stack was found installed, however as seen the flue gases and process emissions generated from the oil fired bhatties/ melting of scrap being disperssed through a rectangular open shaft provided over the scrap meltong area which has been covered over roof by a shed which was found open from te sides.
	File be put up administratively. 
	Ask the unit to submit bank guarantee of Rs. 50,000 under air Act valid for one year. If unit submits the bank guarantee, consent to establish be issued. 

	70
	34654
	28-07-2010
	SHREE NATH JI DYE STUFFS
	SHED NO B-70/10
	LAWRENCE ROAD INDUSTRIAL AREA
	Plastic dye and Packing
	CTE applied on 28.07.2010 Vide Id.no. 34654.
	06.09.2010
Inspection be conducted in view of activity mentioned in negative list as per MPD-2021..
	 
	Inspection be expedited.
	Re-inspection be conducted after 03 months.

	71
	34658
	29-07-2010
	INTERGLOBE HOTELS PVT. LTD.
	ASSET-9, HOSPITALITY DISTRICT, DELHI AEROCITY, DELHI INTERNATIONAL AIRPORT
	NC-SW
	Hotel "IBIS"
	CTE issued valid upto 31.01.2011 for the address of Plot no 86-P, Sector-44, Gurgaon.
	Decision on 06.09.2010
Ask the unit to submit environmental clearance.
	Plot area:: 7845.08 sqm
Year of commencement:Sept 2010
D.G. Set:  3X750 KVA (Proposed)
Trade eff: 5 KLD during operation phase which is taken to STP.

Unit submitted its reply on 26.10.2010, 19.11.2010 and 17.02.2011 along with EC.
	Ask the unit to submit the sanctioned building plan for the built up area 17633.38 sqm mentioned in its earlier consent application and the extended sanctioned building plan along with the date of sanction of the new built up area i.e. 26666.21 sqm along with the present status of the construction. 
	Ask the unit to submit the sanctioned building plan for the built up area 17633.38 sqm mentioned in its earlier consent application and the extended sanctioned building plan along with the date of sanction of the new built up area i.e. 26666.21 sqm along with the present status of the construction. 

	72
	34668
	29-07-2010
	TINA RUCHI FARMS
	KHERA KALAN, G.T. KARNAL ROAD
	NC-NW
	Farm House cum Party Lawn
	CTE applied on 29.07.2010 Vide Id.No. 34668.
	13.08.2010
Ask the unit to submit Bank Guarantee of Rs. One Lakh each under Air Act and Water Act valid for one year along with affidavit stating that unit will not operate its operation till installation of pollution control measures within 15 days. Thereafter, unit will submit an adequacy report and effluent analysis report of ETP from approved consultant / laboratory of DPCC and noise monitoring report of acousticaly treated D.G. Set from approved laboratory of DPCC. 
	Letter was sent on 08.09.2010 and in response of this letter reply was received on 01.02.2011.
	Bank guarantee submitted. Ask the unit to submit the full compliance of CMC's decision dated 13.08.2010.
	Ask the unit to submit the full compliance of CMC's decision dated 13.08.2010.

	73
	34669
	29-07-2010
	JAGAT FARM HOUSE
	KH. NO 43/2,8,13, KHERA KALAN VILLAGE
	NC-NW
	Farm house cum party lawn
	CTE (P) applied on 29.07.2010 Vide Id.No.34669.
CTO ( Y) issued on 04.04.2011 and valid upto 31.10.2013 Vide C.No.35544.
	13.08.2010 Ask the unit to submit Bank Guarantee of Rs. One Lakh each under Air Act and Water Act valid for one year along with affidavit stating that unit will not operate its operation till installation of pollution control measures within 15 days. Thereafter, unit will submit an adequacy report and effluent analysis report of ETP from approved consultant / laboratory of DPCC and noise monitoring report of acousticaly treated D.G. Set from approved laboratory of DPCC. 
	Letter was sent on 06.09.2010.
Reply was received on 29.09.2010.
	Bank guarantee submitted. Ask the unit to submit the full compliance of CMC's decision dated 13.08.2010.
	Issue consent to establish. Subsequently, inspection be conducted within 03 months. 

	74
	34672
	29-07-2010
	TITAN HOUSE (A PARTY LAWN)
	KH. NO 43/19,20,21,22, KHERA KALAN ROAD
	NC-NW
	Farm House "A Party Lawn"
	CTE applied on 29.07.2010 Vide Id.No. 34672.
	13.08.2010 ask the unit to submit Bank Guarantee of Rs. One lakh each under Air Act and Water Act valid for one year aong with affidavit stating that unit will not operate its operation till installation of pollution control measures within 15 days. Thereafter, unit will submit an adequacy report and effluent analysis report of ETP from approved consultant/ laboratory of DPCC and noise moitoing report of accoustically treated D.G. set from approved laboratory of DPCC.
	Letter was sent on 06.09.2010 and in response on this reply was received on 01.02.2011.
As per the decision taken up by Competent Authority SCN for closure was sent on 11.02.2011and in response of this reply was received on 14.03.2011.
	Ask the unit to submit the consent to operate application along with the adequacy report, effluent analysis reprot and noise monitoring report within 15 days, failing which, closure directions will be confirmed. 
	Ask the unit to submit the consent to operate application along with the adequacy report, effluent analysis reprot and noise monitoring report within 15 days, failing which, closure directions will be confirmed. 

	75
	34681
	30-07-2010
	SHARP MENTHOL INDIA LTD.
	C-15
	SMA INDUSTRIAL AREA
	Mfg. of menthol and its allied products.
	CTR (Y) issued on 29.09.2003 and valid upto 18.09.2006 Vide C.No.7916.
CTR (P) applied on 06.04.2006 Vide Id.No.19694.
CTR (P) applied on 09.03.2010 Vide Id.no.33045.
	26.05.2010 ask the unit to apply for consent to establish
	Letter was sent on 07.07.2010.
No reply received.
	Wait for the clarification from CPCB asked in the similar case. 
	Wait for the clarification from CPCB asked in the similar case. 

	76
	34763
	06-08-2010
	CHICKEN PLANET
	8075, BARA HINDU RAO
	NC-N
	non-veg restaurant, capacity 30 seats
	 
	08.09.2010
Ask the unit to sumit BG of Rs 1 akh each unnder Air Act and Water Act valid for one year. If the unit submits the same, Closure dir. Be revoked and CTE be issued.
	BUA: 50 sqm
GW: 200 lpd
Water Consumption : 1300 lpd
Trade Effluent 300 lpd
Domestic Effluent : 500 lpd
Date of commisioning: 2010
Dir u/s 31A and 33A issued on 02.08.2010. by PGRC.
Letter for the BG issued to the unit on 07.10.2010
Reply received on 11.10.2010.

Inspection conducted on 7.3.2011 for CTO.
	Implement the CMC(Orange) decision dated 31.03.2011.
	File be put up administratively. 

	77
	34774
	09-08-2010
	BIO LABORATORIES
	I-2118, DSIDC
	NARELA INDUSTRIAL AREA
	Repacking of Drugs & chemicals & Mfg. of External application
	CTE (Y) issued on 29.06.2004 and valid upto 20.06.2005 Vide C.No.10940.
CTO (P) applied on 16.11.2006 Vide Id.No.19835.
CTE (P) applied on 09.08.2010 Vide Id.No.34774.
CTO (P) applied on 25.08.2010 Vide Id.no.34930.
	06.09.2010 inspection be conducted to ascertain the mfg. of basic drugs.
	Inspection was done on 19.10.2010:
Observations:
1. Unit found operating, engaged in formulation of drugs (Liquid & solid form) & packing.
2. ETP found installed but non-operational.
3. Only bottle washing section found connected with ETP but floor washing discharge is not connected with ETP & being discharged directly into sewer.
4. No sluge seen in SDM & no chemical dozing tank exist.
5. HWM Rules are not compiled with.
	Ask the unit to submit bank guarantee of Rs. 50,000 each under Water Act and HWM Rules valid for one year. If unit submits the bank guarantee, consent to establish be issued. 
	Ask the unit to submit bank guarantee of Rs. 50,000 each under Water Act and HWM Rules valid for one year. If unit submits the bank guarantee, consent to establish be issued. 

	78
	34785
	09-08-2010
	BAKERS SHOP
	GI-15
	GTK ROAD INDUSTRIAL AREA
	Bakery (Pastry, cake etc.)
	CTE (P) applied on 09.08.2010 Vide Id.No.34785.
CTO(P) applied on 23.01.2010 Vide Id.No.36039.
	 
	The unit while applying for consent to opeate has clarified that the correct name of the unit is Bakers Stop. Adequacy report has already been submitted in the name of Bakers Stop. 
Closure direcctions issued earlier have been revoked.
	Recommended for grant of consent to establish in the name of M/s Bakers Stop.
	Issue consent to establish in the name of M/s Bakers Stop.

	79
	34844
	13-08-2010
	RELAXO HOME APPLIANCES PVT. LTD.
	A-8, PHASE-II
	MANGOL PURI INDUSTRIAL AREA
	Mfg. of electrical appliances (without buffing, phosphate activity
	CTE (P) applied on 13.08.2010 Vide Id.No.34844.
CTO (Y) issued on 02.01.2004 and valid upto 24.06.2006 Vide C.No.9164.
CTR (P) applied on 01.12.2006 Vide Id.no.20051.
CTR (P) applied on 13.01.2010 Vide Id.No.32422.
	25.11.2010 Issue consent to establish subject to submission of fresh affidavit prescribed for consent to establish on the proper stamp paper.
	Letter was sent on 03.02.2011.
No reply received.
	Issue final reminder. 
	Ask the unit to submit fresh affidavit prescribed for consent to establish on the proper stamp paper. 

	80
	34855
	16-08-2010
	ARISTO INDUSTRIES
	PLOT NO 1/536-D/3, GALI NO 5
	FRIENDS COLONY INDUSTRIAL AREA
	Mfg. of wires & cables.
	 
	25.11.2010:Issue SCN to the unit stating as to why the necessary action should not be initiated under the provision of the law as the unit has submitted the affidavit on the stamp papers purchased in the name of DPCC. 
	BUA :100 Sq. m.
CTO : NA
Water Consumption :150 L/Day.
Waste Water generation : 
(a) Domestic effluent:20 L/Day.
(b) Trade effluent: Nil
Date of Commissioning:16.09.2010.
ETP/STP : 
DG set:Nil
Unit has submitted an affidavit in the name of DPCC. 
SCN  was issued on 8.02.2011.No reply received.
	Issue SCN for refusal of consent.
	Reply received. Issue consent to establish. 

	81
	34860
	16-08-2010
	AVAL FASHION HOUSE
	A-33
	NARAINA INDUSTRIAL AREA PH-II
	Mfg. of ladies ready made garments with washing and sample dyeing
	CTE issued valid upto 27.10.2006 under Green category.
Applied for CTO on 19.01.2011 vide ID no 36274.
Applied for fresh authorization on 19.01.2011 vide ID no 0633.
	Decision on 25.11.2010
Ask the unit to submit adequacy report and test report from approved consultant / laboratory of DPCC. 
	Plot area: 766.33 sq. yards
Year of commencement: Sept  2010
Trade effluent: 1.0 KLD
Ground Water: 4.0 KLD
Domestic effluent: 2.0 KLD
D.G. Set: 2X82 KVA, NMR submitted dated 19.06.2010
SCN u/s 31(A) & u/s 33(A) and notice u/s 25/26 & u/s 21/22 issued to the unit on 02.07.2010
Unit submitted its reply on 17.08.2010 with affidavit.
Letter issued to the unit on 11.01.2011.
Reply awaited.
	Recommended for grant of consent to establish. 
	Issue consent to establish. 

	82
	34870
	17-08-2010
	M.S. METAL COMPANY
	PLOT NO 458-466, GALI NO 8 (SHAMBHU NATH COMPOUND)
	FRIENDS COLONY INDUSTRIAL AREA
	copper melting by pit furnace.
	CTE granted , valid up to 10.09.2009. for activity of copper ingot by tilting furnace.
CTR granted, valid upto 03.12.2006.
Applied for CTR on 02.02.2010.
	25.11.2010:Issue SCN to the unit stating as to why the necessary action should not be initiated under the provision of the law as the unit has submitted the affidavit on the stamp papers purchased in the name of DPCC. Also ask the unit to remove the tilting furance from the premises and submit an  affidavit. 
	BUA : 200 Sq. Yards.
CTO : 
Water Consumption :300 L/Day.
Waste Water generation : 
(a) Domestic effluent: 50 L/Day.
(b) Trade effluent: Nil
Date of Commissioning:20.09.2010.
ETP/STP : 
DG set:Nil.
SCN and Letter issued on 8.02.2011.
Reply received that they are using tilting furnace and pit furnace both.



	Issue SCN for refusal of consent as unit has not addressed the issue of the improper stamp paper purchased in the name of DPCC and in view of the fact that in its consent to establish application only the pit furnace was proposed. 
	Issue SCN for refusal of consent as unit has not addressed the issue of the improper stamp paper purchased in the name of DPCC and in view of the fact that in its consent to establish application only the pit furnace was proposed. 

	83
	34890
	18-08-2010
	SHIVALIK SERVICE CENTRE
	SECTOR-2, PHASE-I, DWARKA
	NC-SW
	Washing with service station
	Applied for CTO on 27.09.2010 vide application no. 35211.
Applied for fresh authorization on 17.02.2011 vide ID no 0660.
	Decision on 25.11.2010
Inspection be conducted.
Decision on 21.01.2011
Inspection be conducted as decided in CTE application by CMC dated 25.11.2010.Ask the unit to submitt authorization under HWM Rules.
	Plot area: 1080 sqm
Year of commencement: 21.08.2010
Trade effluent: 750 LPD
Ground Water: nil
Domestic effluent:1 75 LPD
D.G. Set: nil
Letter issued to the unit on 07.03.2011.
	Inspection be expedited.
	Inspection done.  Issue SCN for refusal of consent to operate, SCN u/s 31(A) of the Air Act, u/s 33(A) of the Water Act and u/s 5 of the EPA. 

	84
	34891
	18-08-2010
	JAY GARUD GAS STATION
	B-1, COMMUNITY CENTRE, JANAKPURI
	NC-W
	Washing with service station
	Applied for CTO on 08.12.2010 vide ID no 35885.
Applied for fresh authorization under HWM Rules on 15.02.2011 vide ID no 0654.
	Decision on 25.11.2010
Inspection be conducted.
Decision on 16.03.2010
Issue SCN u/s 5 of the EPA in view of deficiencies observed during inspection dated  03.01.2011.
	Plot area: 1144.8 sqm
Year of commencement: 23.08.2010
Trade effluent: 950 LPD
Ground Water: nil
Domestic effluent: 75 LPD
D.G. Set: nil
	Implement the CMC(Orange) decision dated 16.03.2011
	Decision taken on file ratified regarding submission of bank guarantee. If unit submits the bank guarantee, consent to establish be issued. 

	85
	34928
	25-08-2010
	CHORARIA INDUSTRIES PVT. LTD.
	PLOT NO 533, FIE
	PATPARGANJ INDUSTRIAL AREA
	Engineering works.
	CTO granted ,valid upto 04.07.2009
	25.11.2010:Issue SCN for refusal of consent applied under Green category vide ID no 31368 as well as Orange category vide ID no 34928 indicating the "Nil" discharge. Also issue SCN u/s 33(A) of the Water Act based on the findings of inspection carried out on 05.03.2010. 
	BUA :300 Sq. m.
CTO : Yes
Water Consumption :0.5 kilo L/Day.
Waste Water generation : 
(a) Domestic effluent:0.3 kilo L/Day.
(b) Trade effluent: Nil
Date of Commissioning:2006.
ETP/STP : 
DG set:62.5 KVA.
SCN issued on 25.01.2011 for refusal of consent and for u/s 33(A) of the Water Act based on the findings of inspection .
Reply received on 11.02.2011 stating that they have applied for consent under orange category.Affidavit and certificate of registration of wells have been submitted alongwith.
Inspection done on 25.03.2011 .Findings-
The unit is using water only for domestic purpose and cooling which is recycled and topup is added.At the entry water cooler was kept from where domestic waste water was seen discharging .
No trade effluent except cooling and domestic waste water is dischaarging.
	Recommended for grant of consent to establish. 
	Issue consent to establish. 

	86
	35013
	03-09-2010
	MAGIC COMMUNICATIONS
	C-44/4, IST FLOOR, PHASE-II
	OKHLA INDUSTRIAL AREA
	Digital Printing & Display Items
	Pending
	          07.10.10  CMC (Green)
Reinspection be conducted by AEE w.r.t M/s Krishna Dyeing Factory.  Issue u/s 31(A) of the Air Act to M/s Magic Communication and M/s Raju Creation
                       25.11.10
Case be put up in next CMC.
                       13.01.11
Ask the unit to submit Bank Guarantee of Rs. 50,000 under Air Act valid for one year. If unit submits the Bank Guarantee, consent to establish be issued
	Case of other unit i.e. M/s Krishna  Dyeing Factory was taken up by CMC (G) and it was decided to issue notice for closure u/s 31(A) of Air Act to M/s Magic Communications as unit having a buffing machine for shining on acrylic w/o channelization. Now unit has applied for CTE (Orange)

Letter to submit of Bank Garantee issued on 25.02.11
	Issue reminder for submission of bank guarantee. 
	Issue final reminder for submission of bank guarantee within 15 days. 

	87
	35147
	17-09-2010
	SHREE SALASAR STEEL
	A-145/1
	WAZIRPUR INDUSTRIAL AREA
	Cold re-rollingof stainless steel sheet
	CTE (P) applied on 17.09.2010 Vide Id.No.35147.
CTO (Y) issued on 25.02.2011 and valid upto 19.09.2013 Vide C.NO.26773.
	21.01.2011 issue consent to operate.
	 
	Recommended for grant of consent to establish. 
	Issue consent to establish. 

	88
	35168
	20-09-2010
	INDO ASIATIC ENGINEERS PVT. LTD. (CAR DIVISION)
	C-102, PHASE-II
	MAYAPURI INDUSTRIAL AREA
	Denting/ painting/ mechanical job
	CTO Issued twice valid upto14.03.2005 & 08.03.2010 under Green category
CTO Issued valid upto 25.02.2004 under Orange category
CTO_R Issued valid upto 14.03.2010 under Green category
CTO_R Issued valid upto 07.04.2020 under Green category
unit applied for CTO_R ,On . 08.04.2010 vaide application no.33466
	Decision on 25.11.2010
Inspection be conducted to ascertain the washing of vehicles and generation of hazardous waste. 
	Plot area: 444 sqm 
Year of commencement: 01.03.2005
Trade effluent: nil
Ground Water: 100 LPD
Domestic effluent: 120 LPD
D.G. Set: NIL

Inspection conducted on 17.03.2011 durng inspection no washing activity being carried out.
	Recommended for grant of consent to establish. 
	Issue consent to establish. 

	89
	35222
	27-09-2010
	SANJAY
	PLOT NO 458-466, GALI NO 8
	FRIENDS COLONY INDUSTRIAL AREA
	Mfg. of sanitory goods.
	Applied for CTE on 27.09.2010
	25.11.2010: Ask the unit to submit Bank Guarantee of Rs. One Lakh each under Air Act & Water Act valid for one year.  If unit submits the Bank Guarantee, closure directions be revoked and consent to establish be granted.  
	BUA :41.25  Sq. m.
CTO : No
Water Consumption :500 L/Day.
Waste Water generation : 
(a) Domestic effluent:50 L/Day.
(b) Trade effluent:400 L/Day.
Date of Commissioning:05.10.2010.
ETP/STP : 
DG set: Nil
No reply received.So far no bank guarantee has been received.
	Issue reminder clearly indicating that disconnection of electricity and water consumption  will be pursued in case unit does not comply. 
	Issue reminder clearly indicating that disconnection of electricity and water consumption  will be pursued in case unit does not comply. 

	90
	35223
	27-09-2010
	PAWAN KUMAR
	PLOT NO 458-466, GALI NO 8
	FRIENDS COLONY INDUSTRIAL AREA
	Mfg. of sanitory goods.
	CTE issued on 27.10.2010
CTO issued on 17.08.2004   and valid upto 10.08.2009.
	25.11.2010: 
Ask the unit to submit Bank Guarantee of Rs. One Lakh each under Air Act & Water Act valid for one year.  If unit submits the Bank Guarantee, closure directions be revoked and consent to establish be granted.  
	BUA :42.5 Sq. m.
CTO : No
Water Consumption : 500 L/Day.
Waste Water generation : 
(a) Domestic effluent:50 L/Day.
(b) Trade effluent: 400 L/Day.
Date of Commissioning:05.10.2010.
ETP/STP : 
DG set: Nil
Letter asking the unit to submit Bank Guarantee of Rs. One Lakh each under Air Act & Water Act valid for one year was send on 11.01.2011.  
No reply received.So far no bank guarantee has been received.
	Issue reminder clearly indicating that disconnection of electricity and water consumption  will be pursued in case unit does not comply. 
	Issue reminder clearly indicating that disconnection of electricity and water consumption  will be pursued in case unit does not comply. 

	91
	35255
	29-09-2010
	BABOSA PLASTICS
	A-22, GROUND FLOOR
	WAZIRPUR INDUSTRIAL AREA
	House hold plastic items i.e. bucket mug etc.
	CTE (P) applied on 29.09.2010 Vide Id.No.35255.
CTO (P) applied on 04.10.2010 Vide Id.No. 35292
	07.02.2011 If unit submits the Bank Guarantee of Rs. 50,000 under Air Act valid for one year as decided in consent to establish decision dated 25.11.2010, issue consent to operate with the condition to provide hood & suction arrangement followed by a duct raised well above the roof levels (at least 2.0 meter above roof level) to channelize the process emissions and submit an compliance report on an affidavit within 06 months.  
	 
	Implement the earlier CMC(Orange) decision dated 25.11.2010.
	Implement the earlier CMC(Orange) decision dated 25.11.2010.

	92
	35275
	01-10-2010
	RAHUL POLYMERS
	T-2/218, PHASE-I
	MANGOL PURI INDUSTRIAL AREA
	Mfg. of plastic compound (granules), beads and master batch
	CTE (P) applied on 01.10.2010 Vide Id. No. 35275.
	25.11.2010 File be put up adminitratively.
	SCN u/s 31 (a) of Air act was sent on 16.08.2010.
No reply received.
Direction for closure u/s 31(A) Air act was sent on 15..09.2010.
Reply received on 07.04.2011.
	Inspection be conducted. 
	Inspection be conducted. 

	93
	35276
	01-10-2010
	NATIONAL INDUSTRIES CORPORATION
	T-2/218, PHASE-I
	MANGOL PURI INDUSTRIAL AREA
	Mfg. of PVC/EVA plastic dana
	CTE (P) applied on 01.10.2010 Vide Id. No. 35276.
	25.11.2010 File be put up adminitratively.
	SCN u/s 31 (a) of Air act was sent on 16.08.2010.
No reply received.
Direction for closure u/s 31(A) Air act was sent on 15..09.2010.
Reply received on 07.04.2011.
	As decided on file, if the unit submits the requisite bank guarantees for revocation of closure directions, CTE may also be issued. 
	Bank guranantee submitted. Issue consent to establish. Subsequently, inspection be conducted within 03 months

	94
	35297
	05-10-2010
	JAWALA FOUNDARY WORKS
	T-2/217, PHASE-I
	MANGOL PURI INDUSTRIAL AREA
	EVA Footwear 20,000 Pairs/month
	CTR (Y) issued on 25.04.2006 and valid upto 22.07.2008 Vide C.No. 14272.
CTE (P) applied on 05.10.2010 Vide Id.No.35297.
	25.11.2010 File be put up adminitratively.
	SCN u/s 31 (a) of Air act was sent on 16.08.2010.
No reply received.
Direction for closure u/s 31(A) Air act was sent on 15..09.2010.
unit have submitted Bank guarantee on 04.02.2011.
Revocation of closure directions was sent on 09.02.2011.
	Recommended for grant of consent to establish. 
	Issue consent to establish. Subsequently, inspection be conducted within 03 months. 

	95
	35303
	06-10-2010
	PRAMOD KUMAR AGGARWAL
	T-2/216, PHASE-I
	MANGOL PURI INDUSTRIAL AREA
	Mfg. of PVC footwear.
	CTE (P) applied on 06.10.2010 Vide Id.No.35303.
	25.11.2010 File be put up adminitratively.
	SCN u/s 31 (a) of Air act was sent on 16.08.2010.
No reply received.
Direction for closure u/s 31(A) Air act was sent on 15..09.2010.
You have submitted Bank guarantee on 20.01.2011.
Revocation of closure directions was sent on 09.02.2011.
	Recommended for grant of consent to establish. 
	Issue consent to establish. Subsequently, inspection be conducted within 03 months. 

	96
	35307
	06-10-2010
	ASHISH GLASS INDUSTRIES
	PLOT NO 61, SCHEME-I, PHASE-II
	OKHLA INDUSTRIAL AREA
	Mfg. of Glass Gifts Items
	Pending
	    In CTO application:
     05.08.2010
Ask the unit to apply for consent to establish.
     25.11.10
Inspection be conducted. 
        08.04.10
Ask the unit to provide proper channelization system with spray painting, grinding and polishing section and also to apply for authorization under HWM Rules.
	CTE applied on 06.10.2010
CTO applied on 28.06.2010
Inspection conducted by DPCC officials on 14.03.11:
1. Unit was found operational and engaged in the activity of Mfg. and processing of glass gift items.
2. No channelization was provided with spray painting booth.
3. No HWM provisions were made.
4. Grinding and polishing were made without proper channelizations.

Letter yet to be issued.
	Implement the CMC(Orange) decision dated 08.04.2011.
	Letter issued on 06.06.2011. Put up in next CMC. 

	97
	35322
	08-10-2010
	SAGAR INDIA
	E-694, GROUND FLOOR, DSIDC
	NARELA INDUSTRIAL AREA
	Mfg. of plastic dana.
	CTE (P) applied on 08.10.2010 Vide Id.No.35322.
CTO (P) applied on 13.01.2011 Vide Id.No.36236.
	25.11.2010 Seek compliance of the closure orders from the conserned agencies.
	 
	Recommended for grant of consent to establish. 
	Issue consent to establish. Subsequently, inspection be conducted within 03 months. 

	98
	35371
	12-10-2010
	HRA E-WASTE PRIVATE LIMITED
	A-60, IST FLOOR
	JHILMIL INDUSTRIAL AREA
	WEEE COLLECTION, Dismantaling, Segregation Refurbishing, Reuse.
	 
	25.11.2010: Issue SCN for refusal of consent in view of the activity listed in negative list as per MPD-2021. 
	BUA : 1375 Sq. m.
CTO : No
Water Consumption : 0.20 kilo L/Day.
Waste Water generation : 
(a) Domestic effluent: 0.18 kilo L/Day.
(b) Trade effluent: Nil
Date of Commissioning:Nov 2010.
ETP/STP : 
DG set:NA.
Inspection has been conducted on 1.04.2011. NO machinery was found .First floor premises was vacant. Other unit at ground floor M/s S.R. Industries engaged in aluminium wire drawing  was found in operation without consent.
	Case may be discussed before CMC(Orange).
	Ask the unit to submit complete details about the segregation process. 

	99
	35372
	12-10-2010
	SEVEN SEAS HOSPITALITY
	PLOT NO 12, MANGLAM PLACE, SECTOR-3, ROHINI
	NC-NW
	Hotel 
	CTE applied on 12.10.2010 Vide Id.No.35372.
	25.11.2010 inspection be conducted.
	As decided in CMC (O) inspection has been carried out by DPCC officials on 05.02.2011.
observations: 
1. Proposed 04 star hotel , a construction project visited and found that 
excavaton work about 10 to 12 meter depth has already been done. 
It was reported that earlier excavation were was done by M/s star reality Pvt. Ltd., 
thereafter plot was purchased by existing co. i.e M/s seven seas hospitality Pvt. Ltd. 
EC & CTE was earlier obtained by M/s star Realty Pvt. Ltd. 
2. Concrete mixing and batch plant cube test lab & other macihnary is under
 installation by consultant namely M/s Ahluwalia construction co. hired by
 M/s seven seas hospitality Pvt. Ltd.
3. All the 07 D.G sets 4*125, 3*82.5 KVA found without accoustic enclosure. 
However brick masonary work for proposal common accoustic room is going on 
beside stack height installation.
4. Excavation for proposed safety tank for labour camp is going on.
5. About 15 to 16 borewell connections exists. Some of them are beng 
used for the dewatering.
	Implement the CMC(Orange) decision dated 08.04.2011
	No action as decision implemented.

	100
	35376
	12-10-2010
	SHIV SHAKTI PLASTIC
	E-694, BASEMENT, DSIDC
	NARELA INDUSTRIAL AREA
	Mfg. of plastic dana.
	CTE (P) applied on 12.10.2010 Vide Id.No.35376.
CTO (P)applied on 13.01.2011 Vide ID.No.36237.
	16.03.2011
Issue consent to establish.
	03.11.2010. As approved by Competent Authority closure directions sent to the unit on 12.11.2010.
03.08.2010 As approved by Competent Authority  SCN for closure u/s 31 (A) sent to unit on 07.09.2010.
Direction for closure issued on 12.11.2010.
25.11.2010
Seek compliance of the closure orders from the concerned agencies. 
Relpy received on 04.10.2010.
	Implement the CMC(Orange) decision dated 16.03.2011
	No action as decision implemented.

	101
	35450
	21-10-2010
	GURUDWARA HARGOBINDSAR SAHIB
	G.T. ROAD, KARNAL ROAD, NANGLI POONA
	NC-NW
	A party lawn for social functions.
	CTE (P) applied on 21.10.2010 Vide iD.No.35450
CTO (P) applied on 14.12.2010 Vide ID.No.35948.
	21.01.2011 Ask the unit to clarify that applicability of consent to establish applied for party lawn for social function whereas Lt. Governor, Delhi has ordered for de-sealing of the premises in consideration that the premises will only be used for religious functions with Gurudwara. 
	 
	Implement the earlier CMC(Orange) decision. 
	Letter be issued to MCD whether the premises can be used for commercial purpose enclosing the Lt. Governor's order. 

	102
	35478
	26-10-2010
	JAILAXMI ENTERPRISES PVT. LTD.
	A-92/4
	NARAINA INDUSTRIAL AREA PH-I
	CFL PARTS
	 
	Decision on 21.01.2011
Inspection be conducted.
	Water Consumption : 0.3 KLD Waste Water generation : (a) Domestic effluent: 0.175 KLD (b) Trade effluent: NIL Date of Commissioning:1995 ETP : NO D.G.Set : NIL
	Inspection be expedited.
	Reinspection be conducted.

	103
	35505
	27-10-2010
	EXPERT ELECTRICALS
	A-63/1
	GTK ROAD INDUSTRIAL AREA
	A.C. generators or motors.
	CTE (P) applied on 27.10.2010 Vide Id. no. 35505.
CTO issued on 16.06.2003 and valid upto 24.04.2006 Vide C.No.5680.
CTR (P) applied on 05.07.2007 Vide Id.No. 20369.
CTR (P) applied on 04.03.2010 Vide Id.No. 32998.
	21.01.2011 Inspection be conducted.
	 
	Inspection be expedited.
	Inspection done.  Issue SCN u/s 31(A) of the Air Act and u/s 5 of the EPA. 


	S. No.
	I.D. No
	appl_dt
	Industry Name
	Industry Address
	Industrial Area
	Category
	Activitiy / Product
	Consent Status
	Earlier Committee Decision
	Remarks / Action Taken / ATR
	Recommendations of Scrutinizing Committee on 13.04.2011
	Decision recommended by CMC(Orange) on 17.06.2011

	1
	27745
	10.10.2008
	Shri Ram Industries
	B-96
	Wazirpur Industrial Area
	Renewal
	Mfg. of MMF lamination of PU foam sheet.
	 
	 
	Inspection of your unit was conducted on 16.12.2010:
Observations:
1. Unit found operating engaged in Mfg. of MMF laminated sheets.
2. EVA sheets are procured from M/s garg Enterprises. E-830, Narela Industrial Area, Delhi & PU foam sheets are procured from M/s Sheela foam Pvt. Ltd, Plot No. 51-A, Udyog vihar, Greater Noida, U.P. (Copy of bills are enclosed).
3. D.G Sets 82.5 + 35 KVA found at roof top in a common room without accoustic enclosure.
4. Bore well connection exist= 01 No.
	Recommended for grant of renewal of consent.
	Issue SCN for refusal of consent and SCN u/s 31(A) of the Air Act. 

	2
	30985
	31.07.2009
	Pawan Casting
	100, Phase-II
	Badli Industrial Area
	Renewal
	Aluminium pressure die casting
	 
	11.10.2010 Clarification from DDA is awaited. In the meantime, inspection be conducted to ascertain the control measures.
	Inspection of your unit was conducted on 16.12.2010:
Observations:
1. Unit found operating engaged in Aluminium pressure die casting (Mfg. of aluminium parts) having 2 LPG Fired furnace 7 3 Nos. of aluminium die casting machines.
2. Channelisation, suction & hood with ducting installed over the furnace.
	Decision deferred as confirmity issue w.r.t. MPD-2021 under consideration. 
	Decision deferred as conformity issue w.r.t. MPD-2021 under consideration. 

	3
	23830
	09.10.2007
	Bawa Fruit Productes
	B-25
	Lawerence Road Industrial Area
	Establish
	Mfg. of sales f food productes.
	 
	27.08.2010 Reinspection by AEE be conducted
	Inspection of your unit was conducted on 16.12.2010:
Observations:
1. Unit found operating engaged in Mfg. of food products like syrup (Sharbat- Synthetic) in summer season & Sirca onion etc in summer and winter season.
2. For periodic discharge of waste water, generated from utensil, onion wass, no ETP installed.
3. Three- brick massonary furnaces coal used not in summer season for sharbar mfg process for which no channelisation system is provided.
4. D.G Set 7.5 KVA found without accoustic & inadeguate stack.
5. Three nos. brick massonary tanks about 200 lit capacity exist- not in use.
	Issue SCN for refusal of consent, SCN u/s 31(A) of the Air Act and u/s 33(A) of the Water Act for closure of the unit. 
	Issue SCN for refusal of consent, SCN u/s 31(A) of the Air Act and u/s 33(A) of the Water Act for closure of the unit. 

	4
	35619  
	15-11-2010
	UMRAO HOTELS AND RESORTS PVT. LTD
	VILL SAMALIKA, NATIONAL HIGHGWAY NO 8, NEAR RAJOKRI CROSSING,
	SOUTH WEST
	Orange Establish
	HOTEL BAR AND RESTAURANT
	HOTEL BAR AND RESTAURANT
	Decision dated 14.02.211
Ask the unit to submit proper water mass balance chart in view of huge water consumption. Inspection may also be conducted. 
	Letter issued to the unit on 06.04.2011 and unit submitted the water mass balance chart on 08.04.2011.
Water Consumption :250 KLD Waste Water generation : (a) Domestic effluent: 14 KLD (b) Trade effluent: 55 KLD Date of Commissioning: April, 2011 ETP : no D.G.Set : 500 KVA , 380 KVA ( Proposed)

Inspection conducted by the oficials of DPCC on.05.04.2011 during the inspection following were observed:
1.) Two bore well exist at site.
2.) Nine  water harvesting pits are proposed. sewer pits are completed and two pits are under construction.
3.) STP site is proposed at back side of the party lawn.
4.) 2 DG set of 500 & 380 KVA found installed.
	Recommended for grant of consent to establish with the condition to reuse the treated waste water in cooling water requirement, horticulture, toilet flushing etc. in order to achieve zero level discharge. 
	Issue consent to establish with the condition to reuse the treated waste water in cooling water requirement, horticulture, toilet flushing etc. in order to achieve zero level discharge. 
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	Earlier CMC Decisions  
	ATR / Remarks
	Recommendations of Scrutinizing Committee on 13.04.2011
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	1
	30964
	30-07-2009
	KUNAL CABLES
	NO 375, PLOT NO 6 & 7, GALI NO 4
	FRIENDS COLONY INDUSTRIAL AREA
	RENEWAL
	CTE : yes
Water Consumption :150 lits/ day
Waste Water generation : 
(a) Domestic effluent: 20 lits/day
(b) Trade effluent: nil
Date of Commissioning: 2005 (existing).
ETP : N/A
STP : N/A
Test Report (Water) within limit : N/A
Test Report (Air) within limit :  No . 
NMR submitted : no
	No
	Mfg. of Wires & Cables and PVC compounds.
	17.06.2009
issue SCN.
11.10.2010
Ask the unit to submit the details of the channelization system to be installed in view of earlier direction of DPCC, supported by affidavit and photographs. 
	CTE granted , valid up to 31.01.2006.
CTO granted, valid upto 27.03.2009.
20.07.2009.
Letter issued on 22.11.2010
Reply along with photographs and affidavit submitted and informed that they have provided hood and suction arrangement with proper channelization on the extruder. 
Unit has submitted a request letter on 07.04.2011 requesting to issue consent.
	Recommended for grant of renewal of consent.
	Issue renewal of consent.
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	36425  
	07-02-11
	S.K.P ENTERPRISES
	A-22A PHASE-II MAYAPURI INDUSTRIAL AREA
	Mayapuri Industrial Area
	Orange Operate
	Manufacturing of Polythene Bags and Plastic Goods.
	Pending
	Recommendations of Scrutinizing Committee on 29.03.2011 / 30.03.2011
Recommended for grant of consent to operate with the condition that the unit will comply with the provisions of The Delhi Degradable Plastic Bag Act, 2000 envisaging the minimum thickness of plastic bag as 40 micron and size as 8" x 12".
Decision recommended by CMC(Orange) on 08.04.2011
Put up in next CMC.
	18-03-2011 : CTE : issued valid upto 25.04.2011 vide consent order no 23455. Water Consumption ---- 600 liters/day Ground Water ---- 0 liters/day Built Up Area ---- 200 (in sq. Yards) CETP Membership ---- Mayapuri Industrial Area CETP Society / Membership No ---- 002629 Date of commissioning of project : 2009 Waste Water generation Domestic Effluent ---- 100 liters/day Trade Effluent ---- 0 liters/day ETP / STP ---- N/A Test Report(Water) within Limit ---- N/A Test Report(Air) within Limit ---- N/A NMR Sumitted ---- N/A ATR/Remarks: SCN u/s 25/26 of Water Act, 1974 & u/s 21/22 of the Air Act issued to the unit on 15.12.2010. Earlier CMC Decision Decision on 09.11.2010 Issue SCN u/s 21/22 of the Air Act and u/s 25/26 of the Water Act to M/s S.K. P. Enterprises for not obtaining consent to operate.
	Recommended for grant of consent to operate with the condition that the unit will comply with the provisions of The Delhi Degradable Plastic Bag Act, 2000 envisaging the minimum thickness of plastic bag as 40 micron and size as 8" x 12".
	Issue consent to operate with the condition that the unit will comply with the provisions of The Delhi Degradable Plastic Bag Act, 2000 envisaging the minimum thickness of plastic bag as 40 micron and size as 8" x 12".

	2
	36484  
	17-02-11
	INDO-ASHA ENTERPRISES
	53 B6, NAJAFGARH ROAD INDUSTRIAL AREA, RAMA ROAD
	Najafgarh Road Industrial Area
	Orange Operate
	FABRICATION OF PVC BAGS.
	Pending
	Recommendations of Scrutinizing Committee on 29.03.2011 / 30.03.2011
Recommended for grant of consent to operate with the condition that the unit will comply with the provisions of The Delhi Degradable Plastic Bag Act, 2000 envisaging the minimum thickness of plastic bag as 40 micron and size as 8" x 12". Inform to DJB regading ground water extraction. 
Decision recommended by CMC(Orange) on 08.04.2011
Put up in next CMC.
	16-03-2011 : CTE : Issued valid upto 28.08.2006 vide consent order no 12852. Water Consumption ---- 150 liters/day Ground Water ---- 150 liters/day Built Up Area ---- 105 (in sq. meter) CETP Membership ---- Kirti Nagar, DLF & Najafgarh Road Industrial Area CETP Society / Membership No ---- 2321 Date of commissioning of project ---- Waste Water generation Domestic Effluent ---- 120 liters/day Trade Effluent ---- 0 liters/day ETP / STP ---- N/A Test Report(Water) within Limit ---- N/A Test Report(Air) within Limit ---- N/A NMR Sumitted ---- N/A Earlier CMC Decision Decision on 04.03.2009 Issue SCN for closure. Decision on 03.06.2009 Ask to furnish the details of products manufactured on an affidavit clearly indicating whether bio-degradable plastic bag/product is manufactured or not. ATR/Remarks: Applied for CTO on 27.03.2008 vide ID no 25324. Applied for authorization of plastic bags on 17.03.2008 videID no 189. Unit submitted its reply on 08.07.2009 along with affidavit and necessary documents related with the plastic bags.
	Recommended for grant of consent to operate with the condition that the unit will comply with the provisions of The Delhi Degradable Plastic Bag Act, 2000 envisaging the minimum thickness of plastic bag as 40 micron and size as 8" x 12". Inform to DJB regading ground water extraction. 
	Issue consent to operate with the condition that the unit will comply with the provisions of The Delhi Degradable Plastic Bag Act, 2000 envisaging the minimum thickness of plastic bag as 40 micron and size as 8" x 12". Inform to DJB regading ground water extraction. 


	Sl. No
	ID No
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	32955
	########
	LIFESTYLE BUILDCON PVT. LTD. (SALCON AURUM)
	PLOT NO 4, VILLAGE JASOLA
	NC-S
	OPERATE
	Salcon Aurum at PLOT NO 4, VILLAGE JASOLA
	                      04.03.2009
Ask the unit to file the technical evaluation report of STP immediately. Call on 02.04.2009
                              02.04.2009
Issue final remider. Call on 12.05.2009
                              12.06.2009
File be submitted administratively.
                             06.01.10
Inspection be expedited by SIT within 15 days.
                  27.08.10
Issue SCN for refusal of consent and SCN u/s 33(A) of the Water Act.
Recommendations of Scrutinizing Committee on 29.03.2011 / 30.03.2011
Case be discussed before CMC(Orange).
Decision recommended by CMC(Orange) on 08.04.2011
Put up in next CMC.
	The CMC in its meeting held on 06.11.08 decided to levy of Rs. 35 lakhs and BG of Rs.35 Lakhs which are yet to be submitted. The unit filed an appeal on 24.12.08 against ED. The unit called for personal hearing on 21.01.09 and it was claimed that proper STP has been established. Therefore, ED and BG are very high. Accordingly, it was decided that the unit will submit technical adequacy report from impanneled agencies which was submitted on 22.04.09. Inspection conducted by SIT on 09.07.10. As decided by CMC SCN for refusal of consent to operate and SCN for closer u/s 33 (A) of Water Act was issued on 01.11.10. The unit has submitted its reply on 03.12.10 and following were informed-
1. STP will operated as soon as the occupancy will increase.
2. Filter press, flow meter proper labeling on tanks and aroow marks on pipelines have been provided in the STP.
3. No solar heater has been proposed as there is no food court.
4. Proper tree plantation and solar light shall be provided.
5. UV-radiation utilization for this water disinfection is being provided.
6. Two RWH pits have been provided for both roof run-off and surface run-off.
	Case be discussed before CMC(Orange).
	Issue closure directions.

	4
	31501
	22-09-2009
	LAXMI BUILDTEH PVT. LTD.
	PLOT NO D-1 & P-3A, SAKET
	NC-S
	OPERATE
	Commercial complex
	       06.01.10
Matter subjudice. Inspection by SIT.
       143rd
Whenever the matter comes in the court, the report may be apprised to the court. 
   19.08.10
Issue another notice for inspection through pasting and inspection be carried out by SIT. 
Recommendations of Scrutinizing Committee on 29.03.2011 / 30.03.2011
Serve the notice for prosecution for obstructing the officials to discharge their duties. 
Decision recommended by CMC(Orange) on 08.04.2011
Put up in next CMC.
	Unit was inspected by SIT on 10.06.10 and following were observed:-

1. The office cum shopping mall found operational with 40% occupancy.
2. Notice of Inspection were served to Sh. Sunil Mehta (Project Incharge) available at site .
3. However, inspection could not be conducted as the representative present at site  did not allow the team and informed that due to non availability of the concerned professional, inspection would not be allowed.
4. Hence inspection team could not check details with respect to this unit.
	Serve the notice for prosecution for obstructing the officials to discharge their duties. 
	Issue SCN for refusal of consent and SCN for closure of the unit.


