 Minutes of the 62nd meeting of the Committee Constituted for Deciding the Consent under Orange Category, held on 18.06.2008 in the Conference Room of Chairman, DPCC.

   The following persons attended the meeting:

1. Sh. J. K Dadoo, Chairman DPCC

2. Sh. K. Mahesh, Member Secretary, DPCC

3. Sh. S.K.Gupta, Head Chemical Engineering Deptt. ,IIT Delhi 

4. Sh. M. Dwarakanath, SSO, Deptt of Env., GNCTD 

5.  EEs   CMC – I, & III.

6. EE and AEEs of PGRC

7. AEEs and JEE of CMC – I, II & III.

Sh. B. Kumar, SEE, DPCC & Sh. B.M.S. Reddy, EE, CMC-II, DPCC could not attend the meeting as they were on earned leave.

Following decisions were taken in the said meeting:- 
Agenda Item No.1-   Personal hearings of West End Mall, Janak puri District Centre, New Delhi, H-1 Group, Sec – 11, Dwaraka, Parsvanath Developers, Seelampur Metro Station, Nettles Farms Ltd, Dwaraka, Central Square by Pure Earth Infrastructure Ltd, Uppal Housing Pvt. Ltd., Hauz Khas, Hotel Queen Road, Laxmi Buildtech, Plot No. D-1 & P3 – A, Saket Place.

West End Mall, Janak puri District Centre, New Delhi: Subsequent to the decision of the Committee on 11.06.2008 to issue closure order, the unit had represented that he was not prepared for 11.06.2008 to make his submissions and therefore he asked for another personal hearing. This letter was replied asking him to appear before the Committee today at 5.00 PM. Unfortunately, the unit intends to avoid availing this opportunity and has tried to delay the mater when it was absolutely clear to the unit that the Committee is going out of its way to accommodate him. Such red herrings are not to be taken cognizance of by the Committee, and therefore the Committee confirms the earlier order which may be served to him by special messenger after approval of minutes by 23rd June, 2008. 

H-1 Group, Sec – 11, Dwarka :-  The unit is not very clear about the total quantity of water drawn and the total quantity of waste water that will be generated. This data may be provided to the Committee by 18.07.2008. Data on D.G. Set to be installed with acoustic enclosure and stack height may also be asked for. 

Parsvanath Developers, Seelampur Metro Station : The unit came for personal hearing today. Since Consent to Establish and Environmental Clearance have been filed and no construction has been started, case may be taken up on 18.07.2008. Meanwhile SIT to inspect and report. Call on 18.07.2008.

 Nettles Farms Ltd, Dwarka:  The unit came for personal hearing today. It is yet to receive the Environmental Clearance and has applied for Consent to Establish. As advised by MOEF, the unit has stopped the excavation work after reaching the three basement levels. The unit has verbally assured that total project cost is Rs. 296 crore and it is willing to file a cash penalty of Rs. 75 Lakhs and the remaining amount of Rs. 2.2 crores by way of Bank Guarantee  by 30.06.2008.  The unit also says that since it requires Board approval, a formal letter will be filed by 20.06.2008.

If the letter in compliance is filed by 20.06.2008 and the compliance is done by 30th June, 2008, file may be moved administratively for confirmation. Call on 03.07.2008.

Central Square by Pure Earth Infrastructure Ltd: The unit did not come for personal hearing but filed a letter stating that the Directors are abroad and the opportunity may be given in 1st week of July, 2008. Call on 03.07.2008 for personal hearing at 5.00 PM. 

Uppal Housing Pvt. Ltd., Hauz Khas : In the letter of MOEF dated 21.05.2008, MOEF has asked for DDA permission to construct on agriculture land. The unit claims that the land is not agricultural but extended ‘Abadi’. Let the unit file a copy of Khatauni which will clearly indicate whether the land is actually extended Abadi. A letter may also be written to Dy. Commissioner (South) by MS for a separate confirmation on whether group housing can be allowed on this plot. Call on 18.07.2008.

 Hotel Queen Road: The unit came for personal hearing today. Since the unit had not started its operation till September, 2006 after renovation, the Committee feels that the unit being a large hotel with 440 rooms, will require the clearance from MOEF as per EIA notification dated 14.09.2006. The unit must therefore apply for the same.

Unit has confirmed to DPCC that it will apply for authorization under HWM Rules. This must be done immediately. The unit has also confirmed that it will install Rain Water Harvesting Structure and Solar Water Heating System and this must be confirmed by 18.07.2008. The unit has filed its application for renewal of consent. Since the unit claims that STP is working, adequacy report may be filed by 18.07.2008. The Building Code of BEE is also applicable and compliance of this must be confirmed by 18.07.2008. The unit in its application of 2007 indicates ground water drawl of 180 KLD, the unit must file the appropriate permission from CGWA for this purpose. Call on 18.07.2008.

Laxmi Buildtech, Plot No. D-1 & P3 – A, Saket Place: The unit came for personal hearing and claimed that they are abiding by all the environmental legislations. However, record shows that they started the construction before getting Environmental Clearance and Consent to Establish. In fact, Environmental Clearance was received after 09 months of start of construction. Still they do not have the Consent to Establish. The unit was asked to pay the required cash penalty i.e.  Rs. 50 Lakhs and Bank Guarantee of Rs. 1.2 crores valid for three years after much deliberation by the Committee to be complied by 30.06.2008. Call on 03.07.2008.

Agenda Item No.2-   Special reference cases.

Decisions taken with respect to this agenda are tabulated and annexed as Annexure – 1.
Agenda Item No.3-   Shopping Mall cases

Only 42 cases were discussed by the Committee due to paucity of time. Decisions taken in these cases are annexed as Annexure-2. Committee decided to take up the remaining cases of this agenda in the next CMC meeting to be held on 25.06.2008.
Agenda Item No. 4- PGRC Cases

Decisions taken with respect to this agenda are tabulated and annexed as Annexure – 3.
Agenda Item No.5- Construction Projects cases

This agenda could not be taken up due to paucity of time and it was decided by the Committee to take up the same in the next CMC meeting to be held on 25.06.2008.

Table Agenda Item No 1: A letter received from MOEF for taking action under EPA against HIG Flats at Mukherjee Nagar. A well drafted letter may be put up by MS to Vice Chairman, DDA by 25.06.2008.

Meeting ended with thanks to the Chair.


	Sl.No
	Name of the unit
	Activity
	Earlier Decision, if any
	ATR/Remarks
	Decision on  18.6.2008

	1
	Mc-Donold Restaurant, West Punjabi Bagh 
	Restaurant
	                     03.4.2008
In view of the above, the Committee felt that the cash penalty of Rupees One Lakh each under the Air & the Water Acts and Bank Guarantee of Rupees One Lakh each under the Air & the Water Acts for one year period may be taken by 30.04.2008. The unit’s consent to operate lapsed on 23.03.2008. Unit may be asked to apply for Consent to Establish so that both matters can be decided in CMC(Orange) on 30.04.2008. Issue letter accordingly. 
                           01.5.2008
MS to draft a counter reply which is strong and which lays down the factual position both w.r.t. inspection and CMC decision. Call on 03.06.2008.
                         11.6.08
Unit has asked for time of two weeks  for compliance. Call on 18.06.2008.
	Letter issued on 15.05.2008. Copy of the letter delievered personally to the unit on 02.06.2008.
	Issue notice for closure. Call on 18.07.2008.

	2
	Jindal & Sons
	LPG Pressuer Regulator
	_
	Unit has applied for Consent to Establish
	The unit has not properly clarified the total waste water generation in his affidavit and CTE application. Therefore, the unit must clarify the exact waste water generation. The unit must also install channelization facility during the die casting and painting process.  Call on 18.07.2008.

	3
	Sh. Venkatesh Industries (India)
	Mfg of Exercise notebook and Register
	_
	Unit has applied for Consent to Establsih and Authorization Under Hazardous Waste Rules
	Issue Consent to Establish and Authorization under HWM Rules.

	4
	Café Coffee Day, E-12, Ground Flor, DDA Market, Maszid Modh, Greater Kailsh-Ii, Delhi
	Food Procesing (Restaurant)
	_
	Applied for CTE on 02.05.2008 vide I.D. No. 25636.
Unit has submitted a representation on 06.06.2008 & requested to restore the electricity supply.
	Call on 25.06.2008 with SIT report.

	5
	Delhi International Airport Ltd
(Restructuring & Modernisation of IGI Airport)
	Airport
	                         07.12.2007
The relaxation sought by DIAL  may be referred to Prof. Mukesh Khare, IIT, Delhi for formal report/comments. All expenses will be borne by DPCC. He may be requested to file the report within one month. Put up in January, 2008 CMC.
                      29.02.2008
Take up in  CMC on 25.3.2008 with Dr. Khare's report.
	Work order dt 27.02.08 issued to Dr. Mukesh Kare, IIT, Delhi as per the decision of CMC dt 07.12.07.
Letter dt 12.02.08, from DIAL, received with a report of Air Quality modelling for DG sets.
News paper clipping to be discussed in this meeting.
	Ask Dr. Khare to file his report immediately. Call on 18.07.2008.

	6
	Moti Ram Bhatt
M - 152, Sector - V, DSIDc Ind Complex, Bawana Ind Area, Delhi - 39
	Plastic Bottles and Comb
	                    17.03.2008
Wait for Justice Chopra Committee report.
	Unit applied for CTE on 13.8.07 vide ID No . 23120.
Unit has submitted its reprsentation on 10.06.2008 & informed that they are facing a problem for getting the MCD licence and requested to issue CTE.
	Wait for High Court order.

	7
	Metakrafts, 2206, Sector-I, Narela Industrial Area, Delhi
	Mfg of Labels & Nameplates
	                                   23.5.2008
Refuse consent and direct the owner of the land not to allow any unit without pollution control clearance. 
                                    11.06.2008
The unit has already been refused consent and Consent  to Establish cannot be issued twice as per the law. Inform the unit accordingly. 
                                 
	CTE obtained on 27.02.2003 (valid upto 25.02.2004).
Applicant has submitted its representation again  seeking CTE.
As decided by CMC on 23.5.08, refusal letter sent on 06.6.2008
	The case was reexamined and it was found that the unit is not giving clear detail on the process of making the plates. Let the unit file the detailed process and case will be taken up on 18.07.2008.

	8
	Commercial noise monitoring of D.G. Sets carried out by DPCC lab
	 
	_
	SSO(Air) has provided a list of 28 cases wherein monitoring of D.G. Sets is conducted on commercial basis and as per report furnished by DPCC lab, ambient air standards are not meeting.
	Issue notices to the concerned violators by the concerned CMC for correction of deficiencies. If there are any cases of BMW in this list, concerned EE, BMW will issue the notice. Call on 18.07.2008.


	S.No
	Ref. No
	Name & Address
	Date of EC accorded by MOEF
	Status  of application for CTE
	Bult Up Area
	Water / Waste Water details
	Total Project Cost
	Date of Commissioning
	Earlier Decisions
	ATR/REMARKS
	Decision on 18.06.2008

	1
	SA-7
	 Sonia Theater Pvt Ltd G-1, Community Centre, Vikas Puri New Delhi-18 (AEZ Sqaure)
	Not submitted
	Not submitted
	3500 sqm
	-
	 
	Oct 01
	                         17.04.2008
Since unit has not responded for Consent to Establish and Environmental Clearance, MS to inspect and report on 30.04.2008.
                          01.05.2008
Call on 14.05.2008 with MS inspection report.
                           21.05.2008 
The built up area is 3500 sqm but a lot of food shops exist. Ask the unit to file details of water drawn from DJB, waste water discharge details and  apply for Consent to Establish. Call on 18.06.2008.
	Letter for CTE issued on 28.5.08
Reply awaited..
	The unit has filed its reply in response to our letter dated 28.05.2008. However, the unit has not indicated details of ground water drawl and requisite permission, waste water discharge details and has also not applied for Consent to Establish. It has confirmed that it has two food shops which must be generating a fair degree of waste water. The unit may be issued the final reminder to submit details of ground water drawl and its permission, waste water discharge and its treatment and Consent to Establish. If the unit fails to do so by 18.07.2008, it will be issued notice for closure. 

	2
	SA-12
	Ess Cee & Associates (India)Pvt Ltd Construction of Paragon Mall , Cinema Plot no 2, District Centre, Shivaji Place, Near Raja Garden Crossing, New Delhi
	Built up area is 5293.164 sqm. 
	12.2.07
	15883.104 Sqm
	75Kld/disp-50Kld(STP)
	41.44
	11.1.05
	                                                                       23.05.2008
In view of the deficiencies found by the SIT w.r.t. drawl of ground water without permission, no treatment of waste water, non installation of Rain Water Harvesting Structure and release of sludge & waste water in the open drain, unit has clearly violated the provisions of the Water Act. The Committee felt that it is a fit case for issuing a notice for closure u/s 33(A) of the Water Act. 

In view of the above, the properly drafted notice may be issued immediately. Call on 18.06.2008.
	Notice for closure issued on 28-05-08
Reply received.
	The unit has filed a reply in response to the SCN dated 28.05.2008. The unit has not provided the information on CGWA clearance for ground water through bore-well found by SIT. The unit claims that the STP fully functional although SIT did not find it so. The unit must file adequacy report immediately. The unit claims it will install the filter press for the sludge and this must be confirmed soon. No Rain Water Harvesting Structure found by SIT although the unit claims to have provided one in terms of pit. 
Since there are several deficiencies still, the unit may be called for personal hearing at 5.00 PM on 11.07.2008.

	3
	SA-4
	Naman Buildcon Ltd Proposed Commercial Complex   Namely Pacific Mall at Khyala New Delhi
	19.5.08
	24-05-07
	42438.58Sqm
	375KLD/250KLD(STP)in EC
	65crores
	 
	                                      17.04.2008
`The latest Court proceedings may be indicated against this unit on 14.05.2008. MS will ensure that in all cases of prosecution, an updated status in the Court will become part of the agenda in CMC. The copy of the prosecution documents filed by DPCC should also be sent to DJB, NDPL & MCD by MS under his signatures. 
                                  21.05.2008
There appears to be a rather long date in this prosecution case which in the first place was delayed by 40 days in the process of filing the prosecution. Let Sh. Prem Kumar,  Advocate in the panel of DPCC,  file an application for early hearing in this case so that the prosecution proceedings become meaningful. 
	Letter for early date of hearing has been issued through legel cell.
	Send the copy of MoEF's letter to DMRC. Call on 18.07.2008.

	4
	SB-3
	Cross River Mall, 9B & 9 C, Central Business Shahdara, New Delhi-95
	Not obtained
	07.1.08
	36109.67
	By tanker /71.2(ww)
	121.76Cr.
	2006
	                                            11.04.2008
Call on 23.04.2008 with response of our notice.
                                     01.05.2008
Reminder may be issued to DDA for their response. Consent to Establish has been applied and the waste water discharge is 71 KLD and 4 D.G. Sets are installed with capacity of 750 KVA. Call on 03.06.2008 with test reports of D.G. Sets.
                        28.5.08
The unit has asked for 10 days time to submit noise monitoring reports of D.G. Sets. In the meantime the DDA report may also be pursued. Call on 18.06.2008. 
	Letter issued to the unit as well as DDA.
Reply along with noise monitoring report received from unit on 05.06.2008.
Reply from DDA also received through fax.
	Noise monitoring report of one D.G. Set which was not filed be filed immediately. Call for personal hearing on 11.07.2008 at 5.30 PM.

	5
	SB-4
	Parsvnath Developers Ltd in collabration with M/s OCL Ltd Construction of Integrated Station Building and Commercial development at games Village,Near Akshardham Temple, Delhi
	Not obtained
	25/02/08
	29642.57
	55(DJB)+113(GW/TANKER)/ 49.5(WW)
	153.67Cr.
	39995
	                                     23.05.2008
Since there is no information about construction activity, and since no Environmental Clearance is available, SIT to inspect and report by 18.06.2008. Call on 18.06.2008.
	 
	SIT to inspect and report by 25.06.2008.

	6
	SB-8
	P.S.K. Distrcit Centre, Laxmi Nagar, Vikas Marg, Delhi, DSIDC Govt of NCT of Delhi
	NA
	15.01.2008
	644 sq m
	corporation and ground water, 
3  KLD (WW)
	70 lakhs
	Feb 08
	                           11.03.2008
The unit appears to be a club with dining facilities. The unit may be asked to clarify whether they have installed ETP / STP. The unit may also be asked to clarify whether they have adequate stack height and acoustic enclosures with two D.G. Sets. 
                            11.04.2008
Time allowed till end May, 2008 to install ETP. 
                         28.5.08
The unit must file the ETP report and noise monitoring report latest by 18.06.2008. Call on 18.06.2008.
	Letter issued. 
Reply awaited.
	Call on 18.07.2008 with reply.

	7
	SB-9
	Genious Promoters And Developers Pvt. Ltd. Constructed Shop N Park Mall, CBD Ground, Near Karkardooma Court, Delhi-92
	_
	Applied For Consent to Establish on 12.6.08
	 
	 
	 
	 
	                                        01.05.2008
The unit has not applied for Consent to Establish today and seeks time. Since the next meeting on 14.05.2008, unit may file its Consent to Establish application and the case will be discussed and decided on that day. 
                       23.5.08
Issue notice for closure as unit is running without Consent to Establish and without furnishing waste water discharge details. Call on 18.06.2008.
	Notice for closure issued on 30.05.2008. 
Reply awaited. 
	In response to the closure notice, unit has filed its reply indicating that it had completed the plinth area of the plot before 7th July, 2004. The unit has filed an application for CTE and the affidavit attached with it does not indicate any ground water drawl. It shows waste water discharge of 29 KLD for which unit has proposed an STP. The unit has also indicated two D.G. Sets but the affidavit is silent on acoustic enclosure. The unit may be called for personal hearing at 6.00 PM on 11.07.2008. 

	8
	SB-10
	Aditya Mall, CBD Ground, Near Karkardooma Court, Delhi-92
	NA
	30/05/08
	12867.12
	By tanker / 4(WW)
	8Cr.
	1.4.06
	                                 17.04.2008
The unit appeared for personal hearing and the built up area is less than what is required for Environmental Clearance. However, the unit has not applied for Consent to Establish despite waste water generation and use of D.G. Sets. Unit is directed to apply for Consent to Establish within a week with all the necessary data.
                                28.5.08
Issue notice for closure without waiting for minutes. Call on 18.06.2008. 
	Notice for closure issued on 29.05.2008. 
Consent application received. 
Unit filed writ before Hon'ble HC. No stay granted.
	The SIT team was not allowed to fully inspect the premises despite the fact there is no stay from High Court. MS must therefore do the inspection himself. Call on 25.06.2008.

	9
	SB-12
	 Today Homes and InfrastructureLtd , Proposed Commercial Complex (North Gate obit plaza) at Gujaarawala Town  area of Model Town-II, New Delhi
	NA 
	 Not Applied For Consent to Establish, However had applied for NOC W.R.T EC on 24-08-06. The same has been forwrded to MOEF
	18444.5(as per letter)
	160(MCD)/ 74(WW)
	57.84Cr.
	2008
	                                01.05.2008
Call on 14.05.2008.
                        23.5.2008
Since unit claims built up area less than 20000 sqm, SIT to inspect specially on this point. Also on water drawl sources, waste water discharge in treatment and date of start of construction & date of completion of construction, details of D.G. Sets. Call on 18.06.2008.
	 
	Issue final reminder to file documents. Meanwhile SIT to inspect and report by 18.07.2008.

	10
	SB-13
	Parsvnath Developers Ltd in construction with M/s OCL Ltd Construction of Integrated Station Building and commercial development at Inderlok Metro
	NA
	Not applied for consent to Establish
	16555(as per letter)
	Not provided
	Not provided
	Not provided
	                                       21.05.2008
Ask the unit to file application for Consent to Establish, a copy of Environmental Clearance, affidavit indicating date of start of construction, date of completion,a copy of  completion certificate, approved architcural drawing, affidavit indicating plot area, built up area, details about waste water discharge and D.G. Sets. Call on 18.06.2008
	Letter issued. 
Reply awaited.
	Issue final reminder to file documents. Meanwhile SIT to inspect and report by 18.07.2008.

	11
	SB-19
	Parsvnath Developers Ltd in construction with M/s OCL Ltd Construction of Integrated Station Building and commercial development at Netaji Subhash Place Metro
	Not provided
	22/04/08
	29074.55
	108.95(MCD)/ 71.2(WW) (STP)
	147.1Cr.
	40878
	                                   11.04.2008
Call for personal hearing on 30.04.2008 at 6.00 PM.
                          30.04.2008
In this case, applications for Consent to Establish and Environmental Clearance have been filed. The total built up area is going to be 29074.55 sqm. The unit claims, it has not started construction and is awaiting Environmental Clearance. Take up on 21.05.2008 with a copy of Environmental Clearance. 
                         21.05.2008
Unit to file Environmental Clearance. Call on 18.06.2008.
	Letter issued. 
Reply awaited.
	Issue final reminder to file documents. Meanwhile SIT to inspect and report by 18.07.2008.

	12
	SB-29
	Sachdewa Buildcon, Plot No 17, Karkardooma, District Centre, near AGCR Colony, Delhi
	_
	Not applied
	 
	 
	 
	 
	                           21.05.2008
Ask the unit to file application for Consent to Establish, a copy of Environmental Clearance, affidavit indicating date of start of construction, date of completion,a copy of  completion certificate, approved architcural drawing, affidavit indicating plot area, built up area, details about waste water discharge and D.G. Sets. Call on 18.06.2008.
	Letter issued. 
Reply awaited.
	The unit has replied in response to the letter of DPCC dated 29.05.2008 indicating that they have started commercial building as per DDA sanction. The unit may be asked to file the following details:
(i) Permission from CGWA for ground water drawl. 
(ii) Waste water generation & its treatment.
(iii) Details of D.G. Sets along with information w.r.t. stack height and acoustic enclosure.
Call on 18.07.2008.

	13
	SB-30
	Nippun Builders  & Development (P) Ltd.,  Karkardooma, District Centre, near AGCR Colony, Delhi
	_
	Not applied
	_
	_
	_
	_
	              21.05.2008
Ask the unit to file application for Consent to Establish, a copy of Environmental Clearance, affidavit indicating date of start of construction, date of completion,a copy of  completion certificate, approved architcural drawing, affidavit indicating plot area, built up area, details about waste water discharge and D.G. Sets. Call on 18.06.2008.
	Letter issued. Reply awaited. Call on 18.06.2008
	The unit has filed CTE wherein he has indicated ground water drawl of 13.5 KLD without any CGWA permission. It also indicates waste water generation of 8.5 KLD without mentioning any treatment of this waste water. It has also shown one D.G. Set with acoustic enclosure but without adequate stack height. Ask the unit to file the details by 18.07.2008.

	14
	SB-31
	Tirupati Construction Well (P) Ltd., Karkardooma, CBD, Delhi
	_
	Not applied
	 
	 
	 
	 
	
                 21.05.2008
Ask the unit to file application for Consent to Establish, a copy of Environmental Clearance, affidavit indicating date of start of construction, date of completion,a copy of  completion certificate, approved architcural drawing, affidavit indicating plot area, built up area, details about waste water discharge and D.G. Sets. Call on 18.06.2008.
	Letter issued and returned back undelivered and tried to deliever personally but plot / premises could not be traced out.
	One of the new Engineer of CMC will visit the area and get the correct address and notice will be reissued by next week. Call on 18.07.2008.

	15
	SB-32
	Jindal Biochem (P) Ltd., Karkardooma, District Centre, near AGCR Colony, Delhi
	_
	Not applied
	 
	 
	 
	 
	
                                          21.05.2008
Ask the unit to file application for Consent to Establish, a copy of Environmental Clearance, affidavit indicating date of start of construction, date of completion,a copy of  completion certificate, approved architcural drawing, affidavit indicating plot area, built up area, details about waste water discharge and D.G. Sets. Call on 18.06.2008.
	Letter issued and returned back undelivered and tried to deliever personally but plot / premises could not be traced out.
	One of the new Engineer of CMC will visit the area and get the correct address and notice will be reissued by next week. Call on 18.07.2008.

	16
	SB-40
	T. R. Sawhney Heritage Mall,
Secotor - 23, Rohini, 
Delhi - 85
	NA 
	Applied on 21.5.2008
	1190
	8(GW)no permission frim CGWA/ 3(WW)
	4.67Cr.
	39783
	                                      28.5.08
The built up area is 1190 sqm and the unit is drawing 8 KLD of water from the ground without permission from CGWA. The unit is also discharging 3 KLD of water with only an oil & grease trap. The unit has also one DG. Set of 125 KVA of which details have not been provided. Unit may be asked to file permission from CGWA for drawing ground water, waste water treatment details and D.G. Sets details. Call on 18.06.2008.
	Letter issued.
No reply received.
	Issue final reminder on the documents asked for. Call on 18.07.2008

	17
	SC-3
	India Coloniser Pvt.Ltd (const. of Commercial Complex at M-6 Plaza NHCC Jasola)
	Area < 20,000 sq. m      
	 Not Applied For Consent to Establish, However had applied for NOC W.R.T EC on 23-05-06
	19650.72 sq m
	MCD-220 KLD     GW-NIL    DIS 38 KLD
	72.18 crore
	39361
	                                    23.5.08
Since the built up area is about 400 sqm less than the requirement for EC, as reported by the unit, it requires a professional architect to measure and confirm. MS will speak to Prof. Desh Bandhu of the Environmental wing of School of Planning & Architecture and hire the services of a good Junior Architect who will go with MS and confirm the built up area. The unit may also be asked to file the following documents :-
(a) Ground water drawl, if any, with permission.
(b) Installation of STP with adequacy report for waste water discharge.
(c) Noise monitoring of D.G. Sets.
Call on 18.06.2008 with all details above.
	Letter issued on 30.05.2008.
No reply received.
	Call on 25.06.2008 with architect's report.

	18
	SC-4
	Omaxe Construction Ltd. (Construction of Commercial Complex) at Plot No 14, Jasola, Delhi
	N A
	28.09.2007
	233000 sq m
	MCD-I90 KLD           GW-nil     Discharge-56 KLD
	78.57 crore
	2007
	                                     23.5.08
Since  lack of clarity of the built up area, as reported by the unit, it requires a professional architect to measure and confirm. MS will speak to Prof. Desh Bandhu of the Environmental wing of School of Planning & Architecture and hire the services of a good Junior Architect who will go with MS and confirm the built up area. The unit may also be asked to file the following documents :-
(a) Ground water drawl, if any, with permission.
(b) Installation of STP with adequacy report for waste water discharge.
(c) Noise monitoring of D.G. Sets.
Call on 18.06.2008 with all details above.
	Letter issued on 30.05.2008.
Reply received on 06.06.2008
	Call on 25.06.2008 with architect's report.

	19
	SC-5
	Lifestyle Building Pvt. Ltd. (construction of Commercial Complex at Plot NO 4, Jasola, Delhi
	31/10/2007
	 Not Applied For Consent to Establish, However had applied for NOC W.R.T EC on 13-09-06 . The same has been forwarded to MOEF
	26898.25 sq m
	MCD-192 KLD    GW- NIL   DIS- NIL    STP PROPOSED-100 KLD
	70 CRORE
	39239
	                            17.04.2008
Issue reminder to the unit to file the missing documents by 14.05.2008. Call on 14.05.2008.
                        23.5.08
In view of no response of the unit, issue notice for closure under Air & water Acts. Call on 18.06.2008.
	Notice for closure issued on 29.05.2008. 
Reply received on 11.06.2008.
	SIT to inspect and report by 18.07.2008.

	20
	SC-8
	Aditya Infracon (P) Ltd , at Plot no 8 Jasola District New Delhi
	Area < 20,000 sq. m      
	39268
	19906.801sq.m 
	MCD-212 KLD GW-Nil               Dis-80 KLD
	59.78 Crore
	39295
	                                23.5.08
Since  lack of clarity of the built up area, as reported by the unit, it requires a professional architect to measure and confirm. MS will speak to Prof. Desh Bandhu of the Environmental wing of School of Planning & Architecture and hire the services of a good Junior Architect who will go with MS and confirm the built up area. The unit may also be asked to file the following documents :-
(a) Ground water drawl, if any, with permission.
(b) Installation of STP with adequacy report for waste water discharge.
(c) Noise monitoring of D.G. Sets.
Call on 18.06.2008 with all details above.
	Letter issued on 30.05.2008
No reply received.
	Call on 25.06.2008 with architect's report.

	21
	SC-11
	Sprit Global Pvt Ltd Commercial Complex Plot no 9 Jasola District Centre
	N A
	16/07/08
	19948.637 sq m
	MCD-151 KLD  GW-bore well proposed  Discharge-45 KLD STP-50KLD capacity
	54.56 crore
	2008
	                                   23.5.08
Since  lack of clarity of the built up area, as reported by the unit, it requires a professional architect to measure and confirm. MS will speak to Prof. Desh Bandhu of the Environmental wing of School of Planning & Architecture and hire the services of a good Junior Architect who will go with MS and confirm the built up area. The unit may also be asked to file the following documents :-
(a) Ground water drawl, if any, with permission.
(b) Installation of STP with adequacy report for waste water discharge.
(c) Noise monitoring of D.G. Sets.
Call on 18.06.2008 with all details above.
	Letter issued on 03.05.2008
No reply received.
	Call on 25.06.2008 with architect's report.

	22
	SC-14
	DLF Universal Ltd.  Construction of Commercial Complex name DLF Court Yard at  Plot No. A4 & P-1A,  Saket Place, New Delhi-17
	15-01-07
	Applied for consent to Establish on 25-09-07
	 
	 
	 
	 
	                        11.03.2008
Unit has applied for Consent to Establish on 25.09.2007 and Environmental granted on 15.01.2007. It is obvious that he started the construction before the Environmental Clearance. He has filed an affidavit indicating item-wise compliance the Environmental Clearance conditions. He may be asked an affidavit indicating date of start of construction and date of completion and architectural drawing and compliance certificate. DPCC inspection indicating start of construction much before the Environmental Clearance. Unit may be given an opportunity of being heard in 25.03.2008 at 6.30 PM. 
                        17.04.2008
Take up on 23.04.2008.
                     28.5.08
Call on 18.06.2008.
	Unit filed writ before Hon'ble High Court.
	MS to brief the counsel in this case who is doing majority of the mall cases. Call on 18.07.2008.

	23
	SC-15
	Brightways Housing & Land Development, Construction of Office Cum Shopping Mall at Plot no 7 Distt Centre Jasola New Delhi 
	Pending with MoEF
	39093
	21096.513 sq m
	source of water not mentioned    /ground water-- nil   discharge--70KLD     
	66 crore
	proposed
	                             17.04.2008
Issue final reminder to the unit to file the missing documents by 14.05.2008. Check net for any adverse decision of MOEF. Call on 14.05.2008.
                            23.5.08
SIT to inspect & report by 18.06.2008. Call on 18.06.2008 
	 
	SIT report indicates one borewell without permission from CGWA. It also indicates waste wager generation of 70 KLD and STP of 60 KLD under construction. As regards Environmental Clearance, the net indicates that MOEF has postponed the hearing in this case. 
Ask the unit to file the permission from CGWA for borewell and Environmental Clearance immediately. Call for personal hearing at 6.30 PM on 11.07.2008.

	24
	SC-16
	National Building Construction Corporation Ltd (NBCC) Construction of Community Centre  Cum Commercial Complex at Sec-5, Pushp Vihar, New Delhi
	14/3/2007
	29/10/2007
	39169 sq m
	MCD-280 KLD  GW -NIL  DIS- 96000 LPD
	100crore
	39417
	                             17.04.2008
Issue notice to file compliance affidavit of all the conditions of Environmental Clearance with special reference to the conditions of construction phase which is now in operation. Issue reminder seeking missing documents also. Call on 14.05.2008.
                          23.5.08
Issue reminder to MD by MS. Call on 18.06.2008.
	Letter issued on 03.05.2008
Reply received on 09.06.2008
	MS to remind MD again. Call on 18.07.2008.

	25
	SC-19
	Aditya Infracon (P) Ltd , at Plot no 5 Jasola District New Delhi
	Name not included in the list of Ecs accorded/pending with MOEF(as provided by MOEF)
	39092
	19991 sq m
	MCD-110000 LPD   GW-120000 LPD  DIS- 80000 LPD
	63 crore
	39508
	                                     23.5.08
Since  lack of clarity of the built up area, as reported by the unit, it requires a professional architect to measure and confirm. MS will speak to Prof. Desh Bandhu of the Environmental wing of School of Planning & Architecture and hire the services of a good Junior Architect who will go with MS and confirm the built up area. The unit may also be asked to file the following documents :-
(a) Ground water drawl, if any, with permission.
(b) Installation of STP with adequacy report for waste water discharge.
(c) Noise monitoring of D.G. Sets.
Call on 18.06.2008 with all details above.
	Letter issued on 30.05.2008
No reply received.
	Call on 25.06.2008 with measurement. 

	26
	SC-21
	  M/s Suncity Project Pvt. Ltd.Vasant Square Mall Construction Project Pocket 5, Vasant Kunj, Delhi
	22/1/2007
	39179
	28960 sq m-/
	MCD-355 KLD  GW- Proposed  Did- nil
	175 crores
	proposed Dec 2007        
	                            17.04.2008
Issue final reminder to the unit to file the missing documents by 14.05.2008. Call on 14.05.2008.
                        23.5.08
SIT to inspect & report by 18.06.2008. Call on 18.06.2008 
	 
	SIT report found several deficiencies in the compliance conditions of the Environmental Clearance. Call for personal hearing at 5.30 PM on 18.07.2008 

	27
	SC-25
	Manish Group , Sec-22 Dwarka , New Delhi
	Area < 20,000 sq. m      
	Not applied for consent to Establish
	8491.75 sq m
	 
	50 crore
	 
	                              17.04.2008
Issue final reminder to the unit to file the missing documents by 14.05.2008. Call on 14.05.2008.
                  23.5.08
Issue notice for closure. Call on 18.06.2008.
	Notice for closure issued on 29.05.2008.
Reply received on 09.06.2008
	SIT to inspect and report. Call on 18.07.2008

	28
	SC-35
	Parsvnath Developers Ltd in construction with M/s OCL Ltd Construction of Commercial Complex at Shahdara Metro
	 
	Not applied for consent to Establish
	 
	 
	 
	 
	                         17.04.2008

Issue final reminder to the unit to file the missing documents by 14.05.2008. Call on 14.05.2008.
                         23.5.08
Issue notice for closure. Call on 18.06.2008.
	Notice for closure issued on 29.05.2008.
No reply received.
	SIT to inspect and report. Call on 18.07.2008

	29
	SA-8
	City Square Mall, Plot No -8, Shivaji Place, Rajouri Garden, Delhi
	 
	Applied for Consent to Establish in two different names for plot no 7 & 8
	 
	 
	 
	 
	                            03.4.08
Let SEE study the file and take up on 10.04.2008.
                            17.04.2008
While the unit has filed the affidavit, it has not filed completion certificate and the unit may be issued a reminder to do so within 15 days. Call on 14.05.2008.
                             21.05.2008
The unit has two malls adjacent to each other and the total built up area  exceeds 20000 sqm. Let SIT to inspect and report by 03.06.2008. Call on 03.06.2008.
	Inspection report of SIT  will be discussed.
	In view of the fact that there is no clarity on whether plot no 7 & 8 are distinct, call for personal hearing at 7.00 PM on 11.07.2008.

	30
	SA-9
	Shoppers' Stop, Plot no 10, Shivaji Place, Rajouri Garde, Delhi
	Name not included in the list of Ecs accorded/pending with MOEF(as provided by MOEF)
	Not submitted
	26454Sqm
	 
	 
	 
	                             17.04.2008
 CMC to inspect and report whether Shoppers' Stop qualifies as a separate unit for Environmental Clearance. Call on 14.05.2008. 
                             21.05.2008
Since the unit has not applied for Consent to Establish nor furnished Environmental Clearance, notice for closure may be issued immediately. Call on 11.06.2008 for updating CMC with unit's response to closure notice.
	Notice for closure issued.
	The unit has filed a detailed reply in response to the DPCC notice for closure dated 28.05.2008. The following deficiencies are found in the reply:
(i) The unit admits completion of mall without CTE.
(ii) The unit has filed EC but not given an affidavit for item-wise compliance which he must be asked to do immediately.
(iii) The unit has not filed noise monitoring report of the two D.G. Sets. 
(iv) The unit claims STP has been installed but unit has not filed the adequacy report. 
(v) The unit has drawn the ground water but unit has not filed the permission from CGWA for ground water drawl.
(vi) The unit does not have adequate stack height for channelization arrangement.

In view of the above deficiencies, unit may be called for personal hearing on 7.30 PM on 11.07.2008.

	31
	SA-10
	 Capitol City Mall, B-1, Paschim Vihar, Delhi.
	Name not included in the list of Ecs accorded/pending with MOEF(as provided by MOEF)
	Not submitted
	13809.05Sqm in I.R
	 
	 
	15.1.08
	                                14.05.2008
SIT to inspect this unit on 14.05.2008 and this case will also be taken up in the special CMC meeting convened on 15.05.2008 for deciding the case of Shop in Park by Pragya Products Private Ltd at Plot No. 2, Community Centre, Block B , Shalimar Bagh, Delhi.
                         15.5.08
though it is not liable for Environmental Clearance since the built up area is less than 20000 sqm, is trying to evade the law and therefore the Committee felt that it is appropriate to issue notice for closure u/s 31(A) of the Air Act, 1981 and u/s 33(A) of the Water Act, 1974 to the unit for non compliance of the Air & Water Acts provisions. The notice may be drafted and shown to the chairman on 19.05.2008. The notice may be issued to both the addresses recorded in the inspection report giving 15 days time. Call on 03.06.2008.
                         28.5.08
Call on 11.06.2008.
	Notice for closure issued on 28-05-08
	In this case there is no Consent to Establish, no Environmental Clearance and there is a full-fledged SIT report with all the deficiencies. The unit has not replied to notice for closure and therefore the closure orders are confirmed with directions to disconnect water / power supply. This closure order must be served by Monday i.e. 23.06.2008 without waiting for the minutes. Draft order may be shown to the Chairman before issue. Call on 18.07.2008.

	32
	SA-13
	DLF LTD Proposed multilevel parking Cum commercial complex, sarojni nagar
	Not submitted
	39755
	  Plot area is 3787.63sqmBuilt up area is 21,000 Sqm 
	 
	 
	 
	                                   21.05.2008
Call on 23.05.2008.
                                 23.05.2008
Issue final reminder for submitting a copy of Environment Clearance. Ask SIT to inspect and report. Call on 03.06.2008.
	Inspection report of SIT  will be discussed.
	(i)  Fresh water is 30.3 KLD without permission from CGWA for ground water drawl. 
(ii)  Waste water generation is 48.4 KLD.
(iii)  D.G. Sets of 750 KVA (2 nos.) and 500 KVA (2 nos.)

Ask the unit to file the Environmental Clearance and permission from CGWA for ground water drawl. Call on 18.07.2008.

	33
	SA-14
	DLF LTD Proposed multilevel parking Cum commercial complex, Baba Kharak Singh Marg
	Not submitted
	39755
	 Plot Area is 6085.5 sqm Built up area is 33, 633.28 Sqm 
	 
	 
	 
	                                  21.05.2008
Call on 23.05.2008.
                                  23.05.2008
Issue final reminder for submitting a copy of Environment Clearance. Ask SIT to inspect and report. Call on 03.06.2008.
	Inspection report of SIT  will be discussed.
	(i)  Fresh water is 42.4 KLD without permission from CGWA for ground water drawl. 
(ii)  Waste water generation is 77.4 KLD.
(iii)  D.G. Sets of 750 KVA (2 nos.) and 500 KVA (2 nos.)

Ask the unit to file the Environmental Clearance and permission from CGWA for ground water drawl. Call on 18.07.2008.

	34
	SA-16
	R G Complex, Plot no 2, Motia Khan, Paharganj, Delhi
	Not submitted
	Not submitted
	_
	_
	_
	_
	                                      21.05.2008
SIT to inspect and report by 11.06.2008. Call on 11.06.2008.
	Inspection report of SIT  will be discussed.
Reply along with copy of lease deed, sanctioned plan letter dated 01.08.2005 &  building occupancy certificate dated 29.05.2007  submitted on 05.06.2008.
	(i) Ground water is 20 KLD without permission from CGWA for ground water drawl. 
(ii) Waste water generation is 16 KLD. No indication of its treatment.
(iii) D.G. Sets of 50  KVA (3 nos) and 25 KVA (1 no.). Stack height of D.G. Set of 25 KVA is inadequate.

Ask the unit to file an application for Consent to Establish alonga with permission from CGWA for ground water drawl and above information. Call on 18.07.2008.

	35
	SA-17
	RG City Centre, Plot no 4, Motia Khan, Paharganj, New Delhi
	Not submitted
	Not submitted
	_
	_
	_
	_
	                                    21.05.2008
SIT to inspect and report by 11.06.2008. Call on 11.06.2008.
	Inspection report of SIT  will be discussed.
	(i) Ground water is 20 KLD without permission from CGWA for ground water drawl. 
(ii) Waste water generation is 16 KLD. No indication of its treatment.
(iii) D.G. Sets of 125 KVA & 320 KVA with acoustic enclosure and adequate stack height.

Ask the unit to file an application for Consent to Establish alonga with permission from CGWA for ground water drawl and above information. Call on 18.07.2008.

	36
	SA-19
	 Magestic Agrotech Pvt Ltd,Commercial Building at Plot No. A, Block A, Community Centre, Vikaspuri, New Delhi
	Pending with MOE&F
	13.05.2008
	_
	 
	 
	 
	                       17.04.2008
Ask the unit to file the Consent to Establish and Environmental Clearance. Call on 14.05.2008. 
                        21.05.2008
SIT to inspect and report on MOEF direction to stop construction. Call on 03.06.2008.
	Inspection report of SIT  will be discussed.
	(i) One borewell found at site without permission from CGWA for ground water drawl. 
(ii) Waste water generation is 3.2 KLD. No indication of its treatment.
(iii) D.G. Sets of 62 KVA & 125 KVA with acoustic enclosure and inadequate stack height and 3rd D.G. Set of 125 KVA is without acoustic enclosure and without adequate stack height. 

Call for personal hearing at 8.00 PM on 11.07.2008.

	37
	SB-5
	Star City Mayur Vihar, Ph-I, Delhi Noida Road, Delhi
	Not accorded.
	Not applied for consent to Establish
	no detail provided
	no detail provided
	no detail provided
	no detail provided
	                                   01.05.2008
A strong letter may be drafted by MS to counter the points raised by the unit in its letter dated 20.03.2008, reiterating the CMC decision to file the Consent to Establish application and a copy of the approved architectural plan and completion certificate. The provisions of the Air & Water Acts and the Noise Rules may be highlighted and the extent of waste water discharge and  D.G. Sets status may also be asked to be furnished. If the unit fails to do so by 21.05.2008, CMC will be free to decide the case as per Environmental Laws.  
                               23.5.08
Call on 03.06.2008.
	Notice issued. Reply received. But not applied for CTE.
	SIT to inspect and report. Call on 18.07.2008

	38
	SB-6
	Gahoi Build Well Ltd Proposed Commercial Complex name East Centre Mall at Plot no 10 Laxmi Nagar District Centre
	N.A
	24/03/08
	5189.19 (as per inspection
	95 KLD(GW)/70(WW)
	31 Crores
	2006 -2008
	                               01.05.2008
The SIT report clarifies that the built up area is about 5000 sqm and therefore does not require Environmental Clearance. However, the unit has applied for Consent to Establish and SIT report talks about three D.G. Sets with proper stack height and inbuilt acoustic enclosure. However, SIT is silent on waste water discharge. The Consent to Establish application shows waste water discharge of 70 KLD. 

In view of the above let the unit file an adequacy report and payment of water cess details. Call on 03.06.2008. 
                 28.5.08
Since water source & waste water discharge details are not available. Unit may be asked to file these along with the adequacy report and payment of water cess. Issue notice without waiting for minutes. Call on 03.06.2008.
	Letter issued. Reply received 
	(i) No  permission from CGWA for ground water drawl. 
(ii) Waste water generation is 70 KLD. 
(iii) D.G. Sets of 500 KVA, 380 KVA & 250 KVA with acoustic enclosure.

Call for personal hearing at 5.00 PM on 18.07.2008.

	39
	SB-7
	Rishab Ipex Mall, I.P Extension, Near Max Balaji Hospital Delhi
	NA 
	27/03/08
	666.52
	2(borewell)/ 1.6(WW)
	10Cr.
	39508
	                          11.04.2008
The unit was inspected by MS. In view of violation of stack height provisions, the unit may be asked to correct the deficiencies and file a Bank Guarantee of Rupees One Lakh under Air Act by 30.04.2008.  
                       01.05.2008
Call on 14.05.2008.
                                 23.5.08
Issue reminder for Bank Guarantee to be filed within 15 days. Call on 11.06.2008.
	Letter issued. Reply awaited.
	Issue final reminder failing which notice for closure order be issued. Call on 18.07.2008.

	40
	SB-14
	Parsvnath Developers Ltd in construction with M/s OCL Ltd Commercial Complex at Pratap Nagar Metro
	NA 
	18/03/08
	2550.465 sq m
	MCD-17 KLD  GW-NIL  DIS.-7.68 KLD
	5.9 crore
	NA
	                              11.04.2008
SIT will inspect and report by 30.04.2008.
                             01.05.2008
SIT inspection confirms the claim of the unit that Environmental Clearance is not required. However, two D.G Sets were found in operational and Consent to Establish application indicates waste water generation to the tune of approximately 7.5 KLD. Let the unit file the noise monitoring report of D.G. Sets. Call on 03.06.2008. 
                         28.5.08
Call on 03.06.2008.
	Letter issued. Reply received but same not proper. 
	Time allowed till 18.07.2008.

	41
	SB-15
	Omaxe Construction Ltd. at Netaji Subhash Place, New Delhi
	39390
	28/09/07
	31219.85
	165(MCD) /135    (WW)
	113.78Cr.
	2007
	                                14.05.2008
SIT to inspect this unit on 14.05.2008 and this case will also be taken up in the special CMC meeting convened on 15.05.2008 for deciding the case of M/s Shop in Park by Pragya Products Private Ltd at Plot No. 2, Community Centre, Block B , Shalimar Bagh, Delhi. 
                       15.5.08
The Committee felt that despite Environmental Clearance the unit has not complied with the construction phase conditions and has taken the Environmental Clearance as a certificate for forgetting the environmental laws. In such circumstances the only way to bring the unit to book is to issue a notice for closure u/s 31(A) of the Air Act, 1981 and u/s 33(A) of the Water Act, 1974, giving 15 days time to comply. This letter may be drafted and shown to the Chairman on 19.05.2008 before issue. Call on 03.06.2008.
                        28.5.08
Call on 11.06.2008.
	Notice for closure issued on 26.05.2008. Reply received.
	Call on 25.06.2008.

	42
	SB-18
	Galleria Property Management Services Pvt. Ltd at  DT City Center, Block A, Communtiy Center, Shalimar Bagh, Delhi
	 15.01.2007
	Applied
	 
	 
	 
	 
	                                28.5.08
Since the unit has not furnished the required details asked by DPCC, SIT to inspect on 29.05.2008 and submit report to MS by evening for necessary action to be decided in CMC on 29.05.2008.
                           29.5.08
The SIT report indicates several deficiencies, the most glaring of which is that the unit is drawing ground water through two bore-wells without any permission from CGWA. It has also not complied with several conditions of Environmental Clearance. Issue notice for closure which should be served to the unit as the office opens tomorrow. 
	Notice for closure issued. Reply awaited
	Proper well drafted reply has to be filed in the High Court which may be drafted and shown to Chairman by 30.06.2008. 


	S. No.
	Name 
	Activity
	Facts of the case
	Earlier decision, if any
	Action Taken 
	Decision on 18.06.08

	1
	Rajender Kumar & Sons, 17, SSI, Indl. Area
	Re-rolling, annealing & pickling of SS Sheets.
	 
	 Decision on 30/04/08:-
Case to be taken up on 03.06.2008 along with an adequacy report. 
	Letter issued  for submission of adequacy report on  08.05.08.Reply submitted on 28.05.08 and informed that representative of  Guru Govind Singh University  has taken sample on 24.05.08. As soon as adequacy report received same may be submitted. Seek one month time.             .
	Call on 18.07.2008 with adequacy report.

	2
	Complaint against M/s J.S. Designer Pvt. Ltd & others. Plot No.190, Patparganj Industrial Area
	Mfg. of Readymade Garments with washing
	 
	 Decision on 23.4.08:            A final reminder may be issued to the unit to correct all the deficiencies and file the affidavit and Bank Guarantee and to remit self assessed cess. 
	Letter issued on 05.05.2008. Reply awaited. One more complaint has been received through DOV. Action taken report send to DOV & L.G. office.
	Issue notice for closure and send a copy to DOV & LG office. Call on 18.07.2008.

	3
	M/s Vimco Plast India, 405, FIE, Patparganj Indl. Area.
	PVC Pipe
	 
	Decision on 30/04/08
Notice u/s 31(A) of the Air Act & u/s 33(A) of the Water Act may be issued. It has also been brought to the notice that another unit M/s Deepak Printer and M/s Universal Offset Printer are in operation. PGRC to check out the final status of the 2nd unit. Take up on 03.06.2008
	Notice under section 31(A) of Air Act was issued on 09.05.08. Reply alongwith affidavit received. The unit has informed that they are closing their activities by 2nd July, 2008  and requested for grant of time  for shifting and packing of all the plant and machinery. Another unit i.e. M/s Deepak Printers / M/s Universal Offset Printers was inspected on 14.05.08 and the premises was found vacant.
	 (i) Time allowed upto 2nd July, 2008 for shifting the machine. (ii) In case of another unit, owner may be asked not to let out the premises without DPCC consent. Call on 18.07.2008. 

	4
	M/s Shri Ganesh Processors, 234, Pocket G, Sector 3, Bawana Indl. Area
	Washing & Dyeing of Jeans
	 
	Decision on 30.04.2008
Ask the unit to apply for Consent to Establish. Also issue a letter for correction of deficiencies and submission of an affidavit to that effect and to seek a Bank Guarantee of Rupees One Lakh each under Air & Water Acts valid for one year and also under HWM Rules when ETP is installed. Call on  03.06.2008.
	Letter issued on 09.05.08. Reply awaited.
	Issue reminder. Call on 18.07.2008.

	5
	M/s Balwan Singh, F- 97, Sector 5, Bawana Indl. Area
	Manufacturing of Gulla/ briquets from plastic waste
	 
	Decision on 30/04/08
Ask the unit to apply for Consent to Establish. Also issue a letter for correction of deficiencies and submission of an affidavit to that effect and to seek a Bank Guarantee of Rupees One Lakh under Air Act valid for one year. Call on  03.06.2008.
	Letter issued on 09.05.08.Reply awaited.
	Issue reminder. Call on 18.07.2008.

	6
	M.K. Metal
A-7/5, Jhilmil Indl. Area.
	Super enameling on Copper wire
	 
	Decision on 30.04.08
Call on 03.06.2008 along with adequacy report.
	 Letter issued on 08.05.08. The unit submitted Adequacy Report on 02.06.08. Applied for CTE and HW.
	Ask the unit to file Bank Guarantee of Rs. 50000 under Air Act and to check the smell hazard as far as possible. Call on 18.07.2008.

	7
	Complaint against Ajit Singh, E-76, (Basement), DSIDC Indl. Area, Narela.
	Plastic dana
	 
	Decision on 30.04.08
Issue final reminder for CTE. Call on 03.06.2008.
	Letter issued on 09.05.08. Unit has applied for CET under orange category on 02.06.08. 
	Wait for High Court order. Call on 18.07.2008.

	8
	Mc Donald's, S-27, Main Market Green Market
	Restaurant
	 
	Decision on 13.05.2008:  Ask the unit to apply for Consent to Establish. As per the notification of Delhi Degradable Plastic Act mandatory use of Degradable Plastic Bags is to be indicated to the unit.  Take up on 11.06.2008.
	Letter issued on 05.06.08. Reply awaited.
	Issue final reminder. Call on 18.07.2008.

	9
	Madras café, S-26, Main Market, Green Park
	Restaurant
	 
	Decision on 13.05.2008: Ask the unit to install Oil & Grease Trap. Take up on 11.06.2008.
	Letter issued on 05.06.08. Reply awaited.
	Issue final reminder. Call on 18.07.2008.

	10
	Meghna Beauty Parlour
	Beauty Parlour shop
	 
	Decision on 13.05.2008: Ask the unit to install acoustic enclosure & provide sufficient stack height of 15 KVA D.G. Set. Copy  be sent to MCD. Take up on 11.06.2008.
	letter issued on 05.06.08. Reply awaited.
	Issue final reminder. Call on 18.07.2008.

	11
	Adyar Anand Bhawan,S-18, Main Market Green Park
	Restaurant
	 
	Decision on 13.05.2008: Ask the unit to install ETP in view of seating capacity of more than 100 seats and to provide proper stack height with the D.G. Set.   As per the notification of Delhi Degradable Plastic Act mandatory use of Degradable Plastic Bags be indicated to the unit for compliance.  Take up on 11.06.2008.
	letter issued on 05.06.08. Reply awaited.
	Issue final reminder. Call on 18.07.2008.

	12
	Cofee Costa,S-27, Main Market, Green Park
	Coffee Shop
	 
	Decision on 13.05.2008: Ask the unit to install Oil & Grease Trap and provide proper stack height with the D.G. Set. Take up on 11.06.2008.
	letter issued on 05.06.08. Reply awaited.
	Issue final reminder. Call on 18.07.2008.

	13
	Pizza Hut, S-32, Main Market, Green Park, New Delhi
	Restaurant
	 
	Decision on 13.05.2008: Issue notice for proper operation of ETP immediately. Ask the unit to apply for Consent to Establish also. As per the notification of Delhi Degradable Plastic Act mandatory use of Degradable Plastic Bags be indicated to the unit for compliance.  Take up on 11.06.2008.
	letter issued on 05.06.08. Reply awaited.
	Issue final reminder. Call on 18.07.2008.

	14
	Ever Green Sweet House
	Restaurant-cum-sweet shop
	 
	Decision on 13.05.2008: Issue notice for ETP functional immediately. Ask the unit to apply for Consent to Establish and proper stack height. Unit will comply with all the conditions by 11.06.2008. Take up on 11.06.2008.
	letter issued on 05.06.08. Reply received on 26-6-2008 stating that CTE has been submitted on 9-6-2008. ETP is running properly. Submitted the monitoring report 16-5-2008 wherein the analyzed parameters found within the prescribed limit. Regarding degradable plastic bags unit inform mostly we use cardboard boxes. Ask for the plastic bags authorized dealer name.
	PGRC new Engineer to revisit and submit a report. Call on 18.07.2008.

	15
	State bank of Indore, S-31, Main Market Green Park
	Bank
	 
	Decision on 13.05.2008: Ask the unit to install proper acoustic enclosure & stack height with the D.G Set. Inform MCD accordingly.  Take up on 11.06.2008.
	letter issued on 05.06.08. Reply awaited.
	Issue final reminder. Call on 18.07.2008.

	16
	H.T. health Club, S-37, 2nd Floor, Main Market, Green Park
	Gym
	 
	Decision on 13.05.2008: Since the unit misbehaved  with the DPCC officials, MS may call the owner of the unit and ask him/her to ensure installation of acoustic enclosure and adequate stack height with DG set(s) by 10.06.2008. He/She may also be appraised about the provisions of Air Act and Noise Rules. Take up on 11.06.2008.
	letter for hearing issued on 05.06.08.  for hearing on 09.06.2008 at 12:30 PM. No one came for hearing. Letter received back undelivered with the statement, that inspite of several visits to the address, office found closed.
	MS to intervene in this case and resolve. Call on 18.07.2008.

	17
	Vikas Machine Tools22/7, Gali no.12, Anand Parbat Indl. Area New Delhi-5
	Manufacturing of Industrial Knives
	 
	Decision on 23.05.2008-   If he does not file the Bank Guarantee and Consent to Establish application before 03.06.2008, issue notice for closure. Call on 03.06.2008
	The unit has not submitted BG till 03.06.2008. Accordingly, notice for closure u/s 31(A) of the Air Act has been prepared and the file is with legal cell as clouser direction has already been issued. Reply receieved and informed that CTE applied but unable to submit BG.
	No case decided by the CMC will go to ALO for vetting. Draft order will be prepared and will either be approved by MS or by Chairman. If crucial legal matter is involved, DPCC counsel be consulted. Notice for closure be issued without waiting for minutes and also ask unit to file Bank Guarantee. Call on 18.07.2008.

	18
	Tivoli Garden Resorts(A unit of TG Leisure & Resorts P Ltd) , Chhattarpur, Mehrauli, N. Delhi – 30
	Resorts with Restaurant & Banquette Hall
	 
	Decision on 21.05.2008 (hearing):- (i) Adequacy report of ETP to be filed by 11.06.2008. (ii) Water cess to be paid w.e.f. 06.05.2003 and proof of same  be filed by 11.06.2008 (ii) D.G. Set noise report to be field by 11.06.2008 (iv) No loudspeaker permitted beyond 10:00 PM. (v) Bank Guarantee, as imposed earlier, to be field immediately alongwith proper affidavit confirming each of the deficiencies corrected and the above directions followed by 11.06.2008. (vi) A copy of permission from CGWB be filed for tapping ground water by 11.06.2008. Call on 11.06.2008.  Decision on 23.05.2008:-  Issue letter and call on 11.06.2008. 
	Letter issued  to the unit on 03.06.2008.The unit submitted the reply on 12-6-2008 and stated as follows: (i). STP working in perfect condition and requested for 30 days time to submit adequacy report. (ii). Water Cess upto 31-3-2008 has been paid. (iii).The fees for noise monitoring of DG sets and boilers has been deposited in DPCC. (iv). DJ and loud speaker will not operate after 10.00P.M. (v). Filed three BG of Rs. 100,000 each alongwith affidavit conforming that each of the deficiencies corrected. (vi). Regarding CGWA for tapping ground water, approaching the CGWA office for obtaining the permission of these bore wells. 
	Call on 18.07.2008 with ATR on remaining points. 

	19
	Delhi Cold Storage Pvt. Ltd.5078 Roshanara Road Delhi-07
	Cold Storage (storage of dry fruits, kiryana items, & seeds)
	 
	Decision on 23.05.2008:- Let the unit file affidavit for correction of deficiencies. Also clearly indicate that the Bank Guarantee cannot be reduced. Call on 11.06.2008 with Bank Guarantee and affidavit for correction of deficiencies. 
	Letter issued  to the unit. Unit has submitted reply alongwith the B.G. of One Lakh and affidavit on 12.06.2008 for correction of deficiencies.
	Ask the unit to file Consent to Establish. Call on 18.07.2008.

	20
	M/s Bansal Wire Industries Ltd/ Vishwaman Industries, 456-466, Gali No 8, Shambhu Nath compound, Friends Colony Industrial Area, Shahadara
	Mfg. of G.I. Wire, M. S. Wire & S. S. Wire
	 
	 Decision on 23.05.08:-   Request not accepted. Time allowed upto 31.05.2008. Call on 03.06.2008
	Reply submitted by the unit on 13.06.08 along with affidavit and informed that they are start shifting there unit to Gaziabad after one month there will be no water and air pollution. Only dry unit will be run. Requested to wave up BG.
	Issue final reminder for BG. Call on 18.07.2008.

	21
	. M/s M.S. Metal 456-466, Gali No 8, Shambhu Nath compound, Friends Colony Industrial Area, Shahadara
	Copper Melting
	 
	 Decision on 23.05.08:- Time allowed upto 31.05.2008. Call on 03.06.2008.
	 Letters issued to the unit. Reply Received alongwith Bank Guarantee of Rs.50,000 each total One Lakh.
	Ask the unit to file Consent to Establish. Call on 18.07.2008.

	22
	Complaint against Soap Factory and Call Centre, Kh. No. 511/2/1 & 510/2/1, Village Rajokauri, New Delh-38
	Mfg. of cloth washing soap, soap noodles & soap powder
	A public complaint has been received through C.M. Office. Inspection done on 05.06.2008. The details are as under:- (i) This is a huge premises of appx. 10450 Sq. Yards in which a unit in the name of M/s Mahendroo Chemicals Pvt. Ltd. & Corporate office exist. (ii)The unit is engaged the mfg. of cloth washing soap, soap noodles & soap powder with the help of oil fired Bhatti, electric oven, &  grinding machine etc. (iii) Adequate stack height and acoustic enclosure has been provided with the DG Set of 82.5 KVA. (iv) Adequate duct above roof level has not been provided with the chenelization system installed over grinding machine. (v) As reported the unit is in existence since 1988 (copy of Sales Tax  and certificate of Company Registrar provided). (vi) Having a boring for water. (vii) As reported applied for alternate plot under relocation scheme but rejected.  
	 
	 
	Send it to COI with copy to MCD and complainant. Copy may also be sent to Chief Engineer, DJB to take appropriate action for drawl of ground water without CGWA approval.  

	23
	A public complaint has been received through C.M. Office. Against M/s Moti Mahal Dealers Restaurant & Bar
	Restaurant & Bar
	A public complaint of Sh. P.R. Nair has been received through L.G. Office. Inspection done on 05.06.2008 with the help of Police as initialy the  nephew of owner Sh. Harpreet Singh refused to allow the officials to conduct inspection. The details are as under:- (i) This is a Restaurant Cum Bar having seating capacity 50 nos. (ii) Adequate stack height has not been provided with the chanelisation system installed in the kitchen and the same found to be bent downwards (iii) Proper oil and grease trap has not been provided to treat the trade effluent generated from the process. The unit has provided only a  simple tank having two portions which were filled with oil and grease. (iv) It was reported that the unit is having valid MCD lincience (valid upto 31.03.2011) and applied for renewal of certificate for eating house to Delhi Police (valid upto 31.12.2006). (v) Adequate stack height and acoustic enclosure has been provided with the DG set of 50 KVA. But no noise monitoring report was available. (vi) Not applied for consent.
	 
	 
	Ask the unit to file an affidavit for correction of all deficiencies noted in the inspection report. Also ask the unit to file Consent to Establish and Bank Guarantee of Rs. 50,000 under Air & Water Acts each. Call on 18.07.2008.

	24
	Complaint against M/s Park Hotel , 15 Parliament Street , New Delhi - 110001
	Hotel
	A public complaint has been received from Major R.D. Gaind (Retd.) , President , Hanuman Road Resident's Welfare Association (Regd.) as directed by the chairman , opportunity of hearing was given on 22.05.08 which was attended by Shri Gaurav Gupta , Assistant Manager Engineering and Shri Debjeet Banarjee , Security Incharge. The Representative given an undertaking for stopping noise due to loud music and AC plants and to comply with the rules and regulations of DPCC. They also ensured to submit a compliance report within 2 days. Reply Awaited
	 
	 
	MS to check with the complainant. If the matter is resolved, no need to take up in CMC next time. 

	25
	Complaint against rubber and plastic units in Lekhu Nagar & Tri Nagar
	 
	A public complaint has been received through e-mail without any specific address. The complaint is against the plastic and rubber units operating in  Lekhu Nagar Area. The area was visited by  E.E and A.E.E. on 09.06.08. During  visit, it was observed that the said area consist of 12-14 lanes wherein more than 1000 residential house exist and in most of the house commercial/industrial activities was being carried out. To identify the eaxct activity, a proper door to door survey is required which will take almost 15-20 days if the inspections are conducted continously with the help of 5-6 teams of two officers.Most of the premises were also found locked from inside which seems that they are carrying out industrial/commercial activities. This area is a part of Tri Nagar and matter of polluting unit operating in Tri Nagar has already being discused and a letter was send to commissioner of Industries for closure of such units. And the matter was aprised to Principal Secratory to C.M.
	 
	 
	Send this file for administrative decision separately, linking other related files, since this is the complicated matter. 

	26
	Complaint against burning of waste by kabaris in Ganga Sahai Colony, Harijan Basti, Mandoli
	 
	The complaint received from Sh. Ved Prakash through L.G. Office against burning of Copper Wire & Tyre etc. in kabari bazaar near Ganga Sahai Colony Harijan Basti, Village Mandoli. The area was visited by  E.E and A.E.E. on 09-06-2008 between 6.30 P.M. to 7.45 P.M.. During visit, the complainants were also contacted but only father of the complainant could be contacted inspite of our best efforts.During  visit, it was observed that there are about 40 to 50 premises occpied by scrap dealers who are engaged in scrap/kabari activities. These scarp dealer premises are adjacent to the Ganga Sahai Colony. In the complaint, neither any name of the scarp dealers nor specfic address of these premises are mentioned. In these premises,segregation of the waste inside the premises was observed. Most of the premises were found locked.During visit, no burning of waste was observed, however as informed, there is no specific time of burning of waste.
	 
	 
	Send it to COI and MCD with copy to complainant. 

	27
	Complaint against industrial units Plot No.23, Badli Industral Area (a). Subhash jain Palot no.23, IInd floor, Ph-II, Badli Indl. Area (b). Dharmendra Yadav, Plot no.23, FF, Phase-II, Badli Industrial Area
	(a). Mfg. of Polythene Tubes                                     (b). Teflon Coating on iron (Press) Parts
	 
	Decision on 23.05.08:- Issue notice for closure.
	(a). Notice under section 31(A) of Air Act was issued on 03.06.08 to Subhash Jain. Reply awaited.               (b). Notice under section 31(A) of Air Act was issued on 03.06.2008 to Dharmendra Yadav. Representation received from M/s Ankit Enterprises and informed that he has applied for CTE, but unable to submitted BG due to none availability of funds and seek one month time. Reply awaited. 
	(a) Issue final reminder for BG. Call on 18.07.2008. (b) Issue final reminder for reply. Call on 18.07.2008.

	28
	Complaint against industrial unit at H. No. 5A Flag Staff Road. Delhi 54
	 
	A public complaint was received from Sh. Devesh Singh, Jt.  Chief Electoral Officer. Inspection was done on 15.04.08. The details of observation are as under:- 1. The premises is being used for residential purpose and no under industrial activities 2. Adequate stack height & acoustic enclosure has been provided with 100 KVA DG Set installed at the roof top. Significant noise from the AC plant installed at  the roof top. Notice u/s 31A of Air Act was issued on 24.04.08. Case is to be ratified by CMC.
	Case ratified. EE to summon and sort out and report to CMC on 18-6-2008.
	A personal hearing was given to the unit on 06-06-2008. During hearing, Sh. Vijay Mohan Singh, Maintenance Engineer appeared for hearing and reported that there is no industrial activity is being carried out, the necessary measures for controlling noise pollution due to AC plant has been taken. Regarding DG set, money has been deposited in DPCC for noise monitoring report of DG sets.Further he also requested to inspect and verify the same.
	Call on 18.07.2008 with noise monitoring report.

	29
	Complaint against M/s. Laxmi Sweet and Confectioners in residential area of Mukherjee nagar
	Sweet shop-cum-mfg. of snacks
	A compliant has been received from Mukherjee Nagar Citizen Welfare Association against M/s. Laxmi Sweet and Confectioners in residential area of Mukherjee Nagar. As per direction of Chairman, DPCC the unit was inspected on 11-6-2008 and the observations made during inspections are as follows :(a). Unit found in operation. (b) Oil & Grease Trap has been installed, however O&G and waste found floated in all the tanks.(C). unit has provided channelisation system over LPG burners/bhatties, however adequate stack height has not been provided(d). Duct stacks with exhaust bent downwards.(e). unit is having MCDand police license.(f). Unit has applied for CTO on 28-3-2005.
	 
	 
	Ask the unit to file an affidavit for correction of all deficiencies noted in the inspection report. Also ask the unit to file Consent to Establish and Bank Guarantee of Rs. 50,000 under Air Act. Call on 18.07.2008.

	30
	Complaint against three units in Munirka Village  (a). M/s. Maha Maya Engg. Works, Shop no.211, D-1,(b). M/s. Sky Lark Auto, Shop no.242. (c ) M/s. S.K. Steel works, shop no.24. The area is not an Industrial Area.
	(a). Engineering work (Lathe Machines)                                     (b). Servicing and repairing of Two wheelers                      Teflon                                              ( C). Iron and steel fabrication works
	A complaint has been received from Sh. Diwan Singh Tokas. All the three units has been inspected on 12-6-2008 and the observations made during inspection are as follows : 1. M/s. Mahamaya Engineering works- a. The unit found in operation which is engaged in Engg. Works. b. Unit do not have any valid licence. c. As reported, the unit is operating for last 20 years.  2. M/s. Skylark Auto - a. Unit found in operation which is enaged in servicing and reparing of two wheelers. b. NO ETP installed to treat the trade effluent. c. No acoustic enclosure and adequate stack height provided with the DG sets. d. Unit do not have any valid licence. 3. M/s. S.K.Steel Works -a. The unit found in operation which is engaged in fabrication work of  steel and iron.b. Unit do not have any valid licence.C. As reported the unit is operating since 1983.
	 
	 
	Send the complaint to COI with copy to MCD & complainant. Call on 18.07.2008.

	31
	Cottex Dyeing, D-98, Okhala Indl. Area, Phase-I
	washing & Dyeing of Garments
	 
	Decision on 23.05.08:- Ask the unit to file Consent to Establish, affidavit for correction of deficiencies and inpose a bank guarantee of Rs. 50,000 under each of three acts. Send a copy to High Court Monitoring Committee.
	Letter sent on 05-06-2008 to comply the CMC decisions. Reply awaited.
	Unit cannot function without BG even upto October, 2008. Unit be asked to file BG. Call on 18.07.2008.

	32
	Complaint against  Illegal construction works and various units, at factory no. F-59, Okhla Industrial Area, Phase-I, from Sh. Nathu Ram Sharma, Chandni Chowk.
	Repair & maintaince  of Air Conditioning Plant & Compressor. 
	Inspection carried out on 16.06.2008. During inspection M/s Everest Aircon found in operation and engaged in repair & maintained  of Air Conditioning Plant & Compressor  using drill machine a compressor for testing gas cutter, welding machine. Unit has obtain consent to establish (orange) which was valid upto 04.04.2007 not applied for consent to operate.  5 KVA & 15 KVA DG set found without acoustic enclosure & inadequate stack height as informed they are not in use. Basement is use as godown construction of the basement and ground floor at the back side was under progress. First floor is use for office purpose by M/s Promoflex and self i.e. by the unit. Half portion of ground floor is used by Unifrieght as transport godown-cum-office.
	 
	 
	Issue final reminder to comply DPCC instructions or face closure. Call on 18.07.2008.

	33
	Complaint against the unit engaged in manufacturing of 'ZARDA' at A-15, B1, Extn., Mohan Co-operative industrial Area from Sh. Vishnu Gupta through Ministry of Social & Health.
	Manufacturing of Chewing Tobbaco products (ZARDA)
	Inspection of the unit was carried out on 16.06.2008 during the inspection it was found that unit is engaged in Mfg. of Chewing Tobacco (Zarda). Unit obtained consent to operate under green category valid upto 22.11.2009 not obtained CTE.  Basement is use for storage, ground floor is use for office purpose and first floor is use for mfg. for Zarda. Raw tobacco in crushed form supply from Gujrat scent/ essence, Kimam, Glycerene and Silver Leafs mixed manually on the plastic capets and then kept in the plastic drum for 6 to 8 days, thereafter, filled up manually in small tin containers and then sealed by sealing machines and then packed  in cartoons. DG set of 25 KVA installed with accoustic enclosure and adequate stack height above roof level has been provided. There is a 20-25 feet wide road in between school boundry wall and factory. Smell observed in side the premises, channalization system not provided  only exust fan provided 
	 
	 
	Ask the unit to file an affidavit for correction of all the deficiencies regarding channelization. Also ask the unit to file Bank Guarantee of Rupees One Lakh under Air Act. Call on 18.07.2008.

	34
	Complaint against Noise pollution caused by Construction at premises R-41, Greater Kailash Part I from Shri R.P.Joneja through L.G. office.
	Construction in R-41, GK-I
	Inspection was carried out on 12.06.08 and 14.06.08. During inspection premises R-41, GK-I is owned by Shri Sashi Kant Mittal the premises of 500 sq. yard. Construction work was found under progress i.e. basement and side wall etc. Demolition of the whole structure was done by petti contractor, as informed and observed it has been done by big hammers power drills concrete cutter etc. whcih causes noise pollution and dust particles emission. Wall adjcent to Shri Joneja's house is still exist and is to be demolish later on as informed. Demolition waste was taken by contractor and where it has been dispered off not known. Concrete mixed found at site in operation for concreting which create noise pollution. No cranes were observed. Construction material found lying on the road side on the footpath and temporary storage for cement also made on the public land. As informed temporary power connection has been taken. As informed construction of building is to be used for residential purpose. Ground water/bore well is used for construction purpose, no permission shown from CGWA. Notice u/s 31(A) of Air Act were issued on 17.06.08.
	 
	 
	Copy of the notice may be sent to the LG office and complainant. 

	35
	Daffodil  Hotel Tania farm Complex station village chattarpur Block N-D.110030
	Restaurant & Banquet Hall
	 
	Decision on 03.06.08 The unit came for personal hearing today and conformed that it will pay the water cess within three days. The unit also conformed it will file the adequacy report within 15 days call on 18.06.2008
	Unit has submitted adequacy report on 18.06.08. Unit has deposited cess. Applied for CTE 
	Ask the unit to do following :-
(i) Solar Water Heating.
(ii) Rain Water Harvesting.
(iii) Composting of Bio-degradable Waste.
(iv) Large Scale Plantation.
(v) Use of CFL and other energy efficient devices.
Call on 18.07.2008

	36
	Complaint against pollution & creation of nuisance at the Garden of Five Senses, Village Saidulajaib, N Delhi-30
	 
	 
	E.E to speak G.M.Delhi to toursim. Call on 18.06.08. Spoken 
	Spoken to G.M. Delhi on 12.06.08 and informed that the reply will be submitted very shortly.
	Call on 18.07.2008 with reply.

	37
	Ayurveda Kendra, B-5/99,Safderjan Encl., N Delhi-29
	Auryedic Hospital
	Inspection of the unit was carried out on 18.06.2008. During the inspection it was found that unit is engaged in Ayurvedic treatment in the premises No. B-5/99 which is consist of three floor (Ground+First+Second Floor) is being  used for activity of ayurvedic clinic/hospital wherein the treatment to the paitent are given. In the premises no. B-5/100 (only Ground floor on rent) is also used as ayurvedic hospital and the first and second floor of B-5/100 is being used for residential purpose. The trade effluent generating from washing of utensils (used for boiling oil) are dischared into the severs w/o any treatment. No ETP was provided. On the backside of the lane , digging of road was being carried out by DJB workers to check the contamination of ground water. Nomeasure was taken to control the smell problem. During inspection smell of oil from Ayurvedic Hospital was observed . No choking of sewerage was seen on that instant. however it was reported that the same sewerage line was repaired 2 days ago. As reported the used massage oil is given to the private person, but no documentry proof of the same was shown. No Authorization under 
BMW rule shown. The used Bed Sheet are given to the Janki Laundry for washing. 
All the BMW was given to private operator but no Documentry proof shown. 
The active Ayurvedic Hospital is being under action since 1992 but no documentry 
proof was shown for the same. Documentry proof shown 
regarding Registration of Ayurvedic Hospital.
	 
	 
	Based on the inspection report, it appears that it is an Ayurvedic hospital requiring authorization under BMW Rules. BMW Committee-I may inspect and report in the next BMW meeting on 14.07.2008. 


