Minutes of the 133rd meeting of the Committee Constituted for Deciding the Consent under Orange Category, held on 21.01.2010 in the Conference Room of Chairman, DPCC.

   The following persons attended the meeting:

Sh. Dharmendra, Chairman, DPCC

Dr. A.K.Ambasht, Member Secretary, DPCC

Prof. S. K. Gupta, IIT-Delhi.

Sh. M. Dwarakanth, SSO, Dept. of Env,. GNCTD 

Sh. B. Kumar, SEE, DPCC

EEs of CMC –  I, II, III & IV.


AEEs of CMC –  I, II, III & IV.


Following decisions were taken in the said meeting:- 

Agenda Item No. 1- Personal Hearing. 

THE CHIEF ARCHITECH, MCD CIVIC CENTRE, JAWAHAR LAL NEHRU ROAD, MINTO ROAD

The unit came for personal hearing today.  Unit was clarified to take the permission for ground water from the DJB. During hearing, the representative of the unit informed that construction was started on 05.05.2005 and likely to be completed on March, 2010 and assured that six monthly monitoring report w.r.t environmental clearance will be submitted within 2-3 days.  Unit was asked to apply for consent to operate before commissioning the project. 
EXECUTIVE ENGINEER (CD-III), CPWD, Phase-II, Pushpa Bhawan, Pushp Vihar, Delhi

The unit came for personal hearing today. The representative of the unit informed that the project is not likely to be started in a year. The CTE of the unit is reflecting at two places in DPCC record. The unit informed that as such there are no two separate projects and both the applications are for the single project. Therefore, application dated 18.11.2005 vide ID. No. 17027 and dated 05.01.2006 vide I.D. No. 17450 respectively be merged together and let the unit apply afresh for Consent to Establish before starting the work on the project. 
REDEVELOPMENT OF GPRA, ALIGANJ, JORBAGH

The unit came for personal hearing today. It informed to the unit that the earlier communication sent by DPCC were not received by them as the same seems to have misdirected within the different sections of CPWD. The construction work was started in May, 2008 and the project is regarding building of about 300 houses. Unit was asked to apply for Consent to Establish and to comply with the requirement of the conditions of environmental clearance and submit a compliance affidavit to DPCC within 15 days. 
EXEN. HPD-1, CPWD FOR THE CONST. OF GENERAL POOL OFFICE ACCOMMODATION, PUSHPA BHAWAN, PHASE-II, PUSHP VIHAR,

The unit came for personal hearing today. The representative of the unit informed that the project is not likely to be started in a year. The CTE of the unit is reflecting at two places in DPCC record. The unit informed that as such there are no two separate projects and both the applications are for the single project. Therefore, application dated 18.11.2005 vide ID. No. 17027 and dated 05.01.2006 vide I.D. No. 17450 respectively be merged together and let the unit apply afresh for Consent to Establish before starting the work on the project. 

R.C. SOOD & COMPANY P. LTD, SHOPPING MALL, PLOT NO-10, SHIVAJI PLACE, DISTRICT CENTER, RAJA GARDEN

The unit came for personal hearing today. File the prosecution for the violations committed by the project. Matter be forwarded to Legal Cell without waiting for the minutes. 
Agenda Item No. 2- Consent to Establish cases in non industrial areas w.e.f. 24.06.2004 considered by Scrutiny Committee on 24.11.2009 / 01.12.2009. 
Decisions taken with respect to this agenda are tabulated and annexed as Annexure – 1.

Agenda Item No. 3-   Review of ATR of decisions taken w.r.t. Consent to Establish cases (w.e.f. 01.09.2009) considered in the CMC meeting dated 05.10.2009 which are still to be disposed of : reviewed by Scrutinizing Committee on 07.01.2010 / 08.01.2010.

This agenda could not be taken up by the Committee, due to paucity of time, and it was decided to take up the same in the next meeting.
Agenda Item No. 4-   Review of ATR of decisions taken w.r.t. Consent to Operate / Renewal cases (w.e.f. 01.09.2009) considered in the CMC meeting dated 07.10.2009 which are still to be disposed of : reviewed by Scrutinizing Committee on 07.01.2010 / 08.01.2010.

This agenda could not be taken up by the Committee, due to paucity of time, and it was decided to take up the same in the next meeting.
Agenda Item No. 5- Fresh Consent to Establish cases w.e.f. 01.12.2009.  
This agenda could not be taken up by the Committee, due to paucity of time, and it was decided to take up the same in the next meeting.
Agenda Item No. 6- Fresh Consent to Operate / Renewal cases w.e.f. 01.12.2009. 

This agenda could not be taken up by the Committee, due to paucity of time, and it was decided to take up the same in the next meeting.
Agenda Item No. 7- Special Reference Cases.
Decisions taken with respect to this agenda are tabulated and annexed as Annexure – 2.

Table Agenda Item No 1: M/s S.K. Food, G-1093, DSIDC, Narela Industrial Area, Delhi 

Issue Consent to Establish. Subsequently, inspection be conducted.
Meeting ended with thanks to the chair.

	Sl. No 
	ID No
	appl_dt
	firm_name
	firm_address
	area_name
	Proposed  Activity/ Product
	Earlier CMC Decisions  
	ATR / Remarks
	Recommendations of Scrutinizing Committee on 24.11.2009 / 01.12.2009.
	Decision on 21.01.2010

	1
	21346
	16-05-2007
	NIRULAS CORNER HOUSE PVT. LTD
	N-64-64B, CONNAUGHT CIRCUS
	NC-ND
	Reataurant
	 
	Reply submitted on 25.09.09 stating that the sample of ETP effluent installed at N-64-64 B cannaught circus has been taken by the registrar GGSIPU. We are awaiting their reports as well as adequacy repoet.
CTO applied on 05.11.2009.
	Recommended for grant of Consent to Establish. 
	Issue consent to establish.

	2
	21480
	23-05-2007
	NEGOLIC INDIA LTD (PROPOSED RESIDENTIAL COMPLEX NAMED VICTORIA GARDEN AT RING ROAD AZADPUR)
	F-34, IIND FLOOR, HARSHA BHAWAN, CANNAUGHT CIRCUS
	NC-NW
	Residential complex.
	11.12.08- The unit came for personal hearing today. It seeks a lenient view in view of the fact that it has applied for Consent to Establish in 2007. SIT inspection shows excavation has been done and dust pollution has been created, no CGWA permission is taken and D.G. Sets operating without acoustic enclosure and without adequate stack height. The unit admits its mistake and Committee decided to impose environmental damages of 0.05 % of the project cost equivalent to Rs. 5 Lakhs and Bank Guarantee of Rs. 5 Lakhs valid for three years. If the unit submits the same, Consent to Establish may be issued across the table. The unit seeks one week time. Call on 23.12.2008.
12.03.2009- Call for personal hearing on 22.04.2009.
23.04.2009- The unit did not come for personal hearing today and sent a letter asking for waiver of the environmental damages and Bank Guarantee. Quoting the deficiencies noted by SIT, the unit may be asked to comply with the CMC’s directions, as the contention of the unit did not merit any consideration. Call on 03.06.2009.
03.06.2009-Call for personal hearing on 08.07.2009.
	> Unit has not submitted the BG & ED as imposed by the CMC. 

> Unit has submitted EC, compliance of EC conditions, forest clearance letter.
	Inspection be conducted. Also call for personal hearing. 
	Inspection be conducted. Also call for personal hearing in next CMC. 

	3
	21488
	24-05-2007
	NAMAN BUILDCON LTD (PROPOSED COMMERCIAL COMPLEX NAMELY PACIFIC MALL AT KHYALA)
	PACIFIC 3RD FLOOR, PLOT NO 1, SITE IV, SAHIBABAD INDUSTRIAL AREA, GHAZIABAD (U.P)
	NC-W
	Commercial Complex
	Decision on 24.11.08
An application was filed by one Sh. I.K. Thakur on behalf of DMRC seeking time from the committee. Unfortunately nobody from DMRC turned up. Since the unit is already under prosecution by the department, no further negotiation with the unit can take place. The unit was informed accordingly.

Decision on 11.12.08
Nobody came for personal hearing from DMRC. PRosecution proceedings will be continued.Call on 14.01.09.

Decision on 14.01.09
Call for personal hearing on 02.02.09 at 6.15 PM.

Decision on 02.04.09
Call on 12.05.09.


Decision on 12.06.09
SIT-II to inspect & report. Call on 05.08.09

	Trade Effluent -NIL
DG set- 3 X 300, 6X 1500& 1X 250 KVA.

GW- NIL
EC accorded on 19.05.2008.
Prosecution under process.
Inspection report to be discussed
	Letter to the MOEF indicating the deficiencies found during inspection and quoting the letter for the monitoring from the regional office of MOEF. Further, comments regarding issuance of CTE may also be sought.
	Letter to the MOEF indicating the deficiencies found during inspection and quoting the letter for the monitoring from the regional office of MOEF. Further, comments regarding issuance of CTE may also be sought. Also communicate the deficiencies to the unit for rectification.

	4
	21713
	07-06-2007
	EXECUTIVE ENGINEER,CD-III, CPWD (PROPOSED OFFICE COMPLEX  AT INA
	CD-III, CPWD, PUSHP BHAWAN, NEW DELHI-62
	NC-S
	 
	                 30.12.2008
Ask the unit to file permission from CGWA and itemwise compliance affidavit of environmental clearance's conditions by 28.01.2009. Call on 28.01.2009.
                 02.02.2009
Issue final reminder to Chairman, NDMC through MS, DPCC. Call on 25.03.2009
                25.03.2009
MS to speak the official concerned. Call on 05.05.2009
                06.05.2009
Call on 12.06.2009
                15.06.2009
Issue final reminder. Call on 12.08.2009
	letter issued to the chairman,NDMC to file the permission from CGWA and itemwise compliance of environmental clearance .No reply received
	Inspection be conductec to know the present status.
	Call for personal hearing in next CMC and send the letter at correct address.

	5
	22181
	04-07-2007
	SUNCITY PROJECTS PVT. LTD (PROPOSED SHOPPING MALL AT SECTOR-B, POCKET-5, VASANT KUNJ
	N-49, FIRST FLOOR, CANNAUGHT PLACE
	NC-SW
	Shopping Mall
	Decision on 20.02.09
In view of the STP having been installed, this case now comes under fourth category and warrants 50 % of reduction of environmental damages which comes to Rs. 37.5 Lakhs and similarly 50 % of reduction of Bank Guarantee, therefore, the unit may be asked to file a fresh Bank Guarantee of Rs. 37.5 Lakhs valid for three years and environmental damages of Rs. 75 Lakhs and to take back the Bank Guarantee of Rs. 75 Lakhs deposited in DPCC. Call on 02.04.2009
Decision on 02.04.09
Call on 12.05.09

Decision on 12.06.09
Insist the unit to comply CMC decision. Call on 05.08.09.
	
Trade Effluent - NIL
DG set- 4 X 1010 KVA.

GW- NIL
Letter issued on 26.06.09.
reply received requested to be waived of from cash penalty.
	Insist the unit to comply with earlier CMC's decision. Inspection be conducted to know the present status.
	Inspection be conducted to know the present status. Insist the unit to comply with earlier CMC's decision within 15 days, failing which, Bank Guarantee submitted earlier be forfeited. Letter be issued without waiting for minutes. 

	6
	22283
	10-07-2007
	PARSVNATH DEVELOPERS LTD (CONSTRUCTION AT COMMERCIAL MALL AT  AZADPUR METRO STATION
	6TH FLOOR, ARUNACHAL BUILDING, 19, BARAKHAMBA ROAD
	NC-NW
	Shopping mall cum station
	                                   03.06.2009
MS to study the file and matter to be taken up in next CMC meeting. Call on 12.06.2009
12.06.2009-
It was observed that part 'A' of the project is having basement, ground, 1st, 2nd & 3rd floor. 3rd floor is utilized by DMRC. Since there is no exemption under environmental clearance in this regard, the area of 3rd floor will also be counted towards covered area and hence the environmental clearanace will be required. The railway track and station has not been considered towards covered area. Unit be asked to submit the environmental clearance along with following documents : (i) Land use conversion permission for part 'A' (ii) Affidavit from DMRC that environmental clearance will be taken again when constructing part 'B' and would be immaterial whosoever is constructing (iii) Affidavit clearly indicating the built up area for part 'A' clearifying the built up area of basement, ground floor, 1st floor, 2nd & 3rd floor separately (iv) Copy of the sanctioned building plan.  Call on 05.08.2009
	Inspection done on 01.04.2009.
Reply submitted dated 28.08.09, submitting the following documents:
1. Land use conversion permission for Part-A.
2. Affidavit from DMRC that EC will be taken again when constructing Part-B & would be immaterial what so ever is being constructed.
3. Affidavit indicating the built up area for part-A clarifying the built up area.
4. Copy of sanctioned building plan.
	The total built up area in plot 'A' and 'B' including DMRC construction is crossing the threshhold limit of 20000 sqm envaisaging the environmental clearance. The area proposed by M/s Parsvnath Develoopers Ltd. cannot be considered separately. Hence, the unit be asked to submit enviornmental clearance. Also clarify that consturction done by the DMRC is not exempted from the purview of environmental clearance notification. It should also be clarified to the unit that for any future additional construction after this, it will approach for seeking revised environmental clearance. 
	Ask the unit to apply for environmental clearance within 15 days, failing which, action will be initiated. 

	7
	22457
	16-07-2007
	SPIRIT GLOBAL PVT. LTD
	COMMERCIAL COMPLEX AT PLOT NO-9, JASOLA DISTRICT CENTRE
	NC-S
	 
	                                18.12.2008
The unit came for personal hearing today.  It has started its construction in 2005 with the project cost of Rs. 54.06 Crores and without applying for Consent to Establish till 16.07.2007. Secondly, it is misrepresenting its built up area as less than 20,000 sqm and when the IIT Survey Team measured the area it was found to be more than 20,000 sqm and therefore requiring environmental clearance which was not taken. Thirdly, the unit has started operation without taking Consent to Establish. Fourthly the SIT found several deficiencies during inspection in August, 2008. The unit was found drawing ground water without CGWA clearance and releasing 45 KLD of waste water without providing STP/ETP. The effluent analysis carried out by DPCC laboratory found all the parameters exceeding the prescribed standards.  In view of the above, the Committee strongly felt that this is a fit case of closure; therefore, notice for closure must be issued immediately giving 15 days time. Call on 07.01.2009.
                                   07.01.2009
Call on 28.01.2009 for final decision.
                           28.01.2009
Reply be examined carefully and file be  put up administratively within 01 week.
                            16.02.2009
Sh. A.N. Singh, Scientiest, DOE to study the reply w.r.t. SIT deficiencies and submit the file administratively within a week.
	Notice for closure issued on 07.01.2009.
No reply received.
As per application19948.637 sq m
As per IIT survey: 20420.56 sqm.
	Provide the survey report to the unit. Inspection be conducted to know the present status. Also ask the unit to file environmental clearance.
	Inspection be conducted to know the present status to decide the next course of action w.r.t. closure. 

	8
	23341
	30-08-2007
	EROS RESORTS & HOTELS PVT. LTDS-1, AMERICAN PLAZA INTERNATIONAL TRADE TOWER, NEHRU PLACE
	Mayur vihar
	NC-E
	 
	 
	 
	Recommended for making the application infructuous in view of CTE granted to the projects separately for plot no 13A & 13B on the basis of separate  subsequent applications filed on 08.04.2008. 
	Consent application be made infructuous.

	9
	23388
	05-09-2007
	AMAZING REALTORS LTD (OFFICE COMPLEX & SHOPPING MALL NAMELY SPLENDOR FORUM)
	PLOT NO-3, DDA DISTRICT CENTRE, JASOLA
	NC-S
	 
	                 28.5.08
Move application through Sh. Prem Kumar, Advocate in the Supreme Court for enforcing the DPCC order and getting Delhi High Court order vacated.  Call on 03.07.2008.
                  13.08.2008
Call on 11.12.2008.
                  18.12.2008
Case to be discussed with advocate and decision will be taken thereafter.
                     30.12.2008
File be submitted administratively with a brief.
	Closure direction issued. Matter subjudice. BG-.1%, ED-.50% of project cost
Stay against pumitive action. Counter affidavit has been filed. The case was lastly listed on 11.12.2008. On the hearing on 11.12.2008, the petition informed that they have already filed an additional affidavit. Now DPCC has to file the reply of this additional affidavit within 06 weeks and case has been adjourned for 27.03.2009. Confirm order for not taking pumitive action is to be continued.
	Inspection be conducted to know the present status.
	Case be considered after implementation of decision of Scrutinizing Committee.

	10
	23441
	10-09-2007
	UGC CAMPUS (CONSTRUCTION COMPLEX AT POCKET-7, SECTOR-B, VASANT KUNJ, NELSON MANDELA ROAD
	BAHADUR SHAH ZAFAR MARG
	NC-SW
	UGC Campus
	             Decision on 21.01.09
Ask the unit to file tree cutting permission. Call on 25.02.09.

Decision on 25.02.09
Call on 02.04.09.

Decision on 02.04.09
Issue final remider.Call on 12.05.09

Decision on 12.06.09
Ask the unit to file its reply on an affidavit.
Call on 05.08.09
	
EC submitted Affidavit for complaince of Environmental Conditios submitted.
Trade Effluent - 5 KLD
DG set-2 X 1010 KVA & 1 X 500 KVA proposed.

GW- Nil
Unit has subitted an affidavit on 13.07.09 stating that the existing trees of around 35 to 45 numbers in an around the Campus shall be retained without beibg uprooted even a single tree.
	Recommended for grant of Consent to Establish.
	Issue consent to establish.

	11
	23625
	25-09-2007
	BEVERLY PARK MAINTENANCE SERVICES LTD
	PLOT NO-3, NELSON MANDELA ROAS, VASANT KUNJ, PHASE-II
	NC-SW
	Shopping complex
	                                        22.05.09
Since the advocate has suggested that the letter received from DLF must be examined on merits and since this is a very lengthy letter, let the file be submitted administratively after proper careful examination of the letter by Sh. B. Kumar, SEE.
                                       12.06.09 
File be re examined and submit administratively.
                                          22.07.09
File be put up administratively with a legal examination.
	AS per CTE application dated 03.06.05
GW NIL
Trade Effluent NIL
DG Set 5 X 1010 KVA 
& 2 X 750 KVA

As per CTE application dated 25.09.07 for the activity of Commercial and Retail.
GW : Nil
STP proposed.
DG Set : 2 X 1750 KVA
1 X 1500 KVA

Unit applied for CTO Vide ID no. 29584 on 20.04.09
 Adequacy report submitted on 11.05.09
	Expedite to write to MOEF regarding clarification.
	Take a legal opinion from Senior Counsel on panel regarding imposition of the envionmental damages and bank guarantee. Also carry out inspection.

	12
	23626
	25-09-2007
	DLF RETAIL DEVELOPERS LTD
	DLF SOUTH COURT, PLOT NO A1 & P2B, SAKET PLACE
	NC-S
	 
	                                11.05.2009
SIT-I & SIT-II to inspect jointly and report before 18.05.2009. Also DPCC lab will take the samples as per procedure along with SIT inspection and the sample may be sent to CPCB and DPCC lab for analysis. Call on 22.05.2009
                                   15.06.2009
Sh. B. Kumar, SEE to examine the file and put up. Call on 12.08.2009
	SCN for closure issued Matter subjudice. The opinion of advocate has been taken with respect to SIT inspection for issuance of notice.
53721 sqm
	Inspection be conducted to know the present status.
	Case be considered after implementation of decision of Scrutinizing Committee.

	13
	23627
	25-09-2007
	REGENCY PARK PROPERTY MANAGEMENT SERVICES P. LTD
	PLOT NO-4, NELSON MANDELA ROAD, VASANT KUNJ, PHASE-I
	NC-SW
	Shopping Complex
	Decisio on 15.06.09
As per the affidavit dated 17.04.2009, it has been stated that there is no discharge of 
domestic sewage due to 100 % recycling of treated effluent. Treated effluent will be 
recycled / reused for toilet flushing, air conditioning and horticulture whereas adequacy 
report is silent on this aspect. Unit be also asked to obtain the modified adequacy report 
clearly certifying that 100 % recycling of treated effluent is being done and effluent is not
 discharged outside the premises. Unit be also asked to confirm on affidavit about the details 
of industrial effluent recycling. Call on  12.08.2009
	Applied for CTE on 27.04.05.Further applied for CTE again on 25.09.07
Environmental Clereance dated 24.11.06 and compliance affidavite  submitted.
The unit filed a writ before Hon'ble High Court.
Counter affidavit filed
SIT inspected on 18.08.08
SCN for closure issued on 06.10.08.
Unit has applied for CTO on 20.04.09.
As advised by the advocate SIT-I inspected the unit on 01.05.09.
As per CMC decision dated 15.06.09 letter was issued on 02.07.09.
reply awaited.
	Matter subjudice. Issue reminder. 
	Case be considered after implementation of decision of Scrutinizing Committee.

	14
	23628
	25-09-2007
	GALLERIA PROPERTY MANAGEMENT SERVICES PVT. LTD
	DT CITY CENTRE, BLOCK-A, COMMUNITY CENTRE, SITE, SHALIMAR BAGH
	NC-NW
	 
	                              06.05.2009
In response to the SCN issued, the unit claims that it has complied with the conditions but recent SIT inspection dated 30.04.2009, it was noticed that the borewell is still not dismantled. The unit is hereby directed to dismantle the borewell immediately since it contends taking the entire water from the tanker. As observed pipe carrying floor washing water / any waste water be disconnected from the rain water harvesting system in order to avoid contamination of ground water.  Call on 12.06.2009
                                  12.06.2009
Issue final reminder. Call on 05.08.2009
	Letter to dismental the bore well and to disconnect the pipe carrying floor washing water from rain water harvesting system issued on 21.05.09
Reply received on 12.06.09 regarding the compliance of CMC decision.
	Matter subjudice.
	Wait for the High Court decision.

	15
	23629
	25-09-2007
	DLF LTD
	DLF COMMERCIAL AND RETAIL CENTRE, COURTYARD, PLOT NOS. A-4 & P-1A, SAKET PLACE
	NC-S
	 
	                                12.03.2009
The SIT- I & SIT-II inspection report may be carefully studied and case be submitted administratively covering all the points within a week without waiting for the minutes.
                                 20.03.2009
Advocate be consulted and appropriate action with draft order be put up in CMC on 25.03.2009. Call on 25.03.2009.
                                25.03.2009
File be put up administratively without waiting for minutes.
                             23.04.2009
A written explanation of the ALO-I as to why the order has not been implemented. File may be sent to Sh. Vidhey to immediately get the vacation of the stay and confirm to DPCC in writing. Call on 08.05.2009
                             11.05.2009
Ask the advcoate to expedite the vacation of the stay. Call on 22.05.2009
                            15.06.2009
Call on 12.08.2009
	The opinion of advocate has been taken for vacation of stay.
Area more than 20,000 sq mt.
Matter subjudice
	Procure the file from Advocate and put up administratively. 
	Monitoring of STP be conducted in view of the legal opinion.

	16
	23704
	28-09-2007
	OMAXE LTD
	PLOT NO-14, JASOLA
	NC-S
	 
	                            21.01.2009
Ask the unit to file adequacy report from empanelled agencies of DPCC. Call on 25.02.2009
                             25.02.2009
Before the unit starts operation, it must apply for Consent to Operate. Call in last week of May, 2009
                             03.06.2009
Unit will not start its operation without the Consent to Operate. Call on 22.07.2009.
	Unit has appplied for CTO on 10.09.2009 and also inspection report tobe discussed.
	Recommended for making this Consent to Establish application infructuous as unit has obtained consent to establish vide application dated 07.09.2006
	Consent to Establish application be made infructuous as unit has obtained consent to establish vide application dated 07.09.2006

	17
	23717
	01-10-2007
	ADITYA INFRA DEVELOPERS PVT. LTD
	PLOT NO-5, DISTRICT CENTRE, JASOLA
	NC-S
	 
	                                20.02.2009
Ask the unit to file adequacy report mentioning the reuse of treated waste water. Inspection platform with approach ladder and filter press should be provided with STP. Proper log book should be maintained. Sludge generated from the physio-chemical ETP should be managed as per HWM Rules. One bore-well exists at site. No information provided regarding CGWA clearance. Ask the unit to correct all these deficiencies. Call on 02.04.2009
                                 02.04.2009
Issue final remider. Call on 12.05.2009
                                 12.06.2009
Ask the unit to file environmental clearance as built up area is more than 20,000 sqm as per IIT Survey. Also ask the unit to file full compliance and file DJB clearance for ground water extraction. Call on 05.08.2009
	Final reminder issued to the unit to submit the compliance of CMC decision dated 20.02.2009. 
Reply received along with adequacy report.
Area- 19991 sq m as per MoEF. CTE filed by the unit indicates built up area of 20356 sqm.
	Ask the unit to file environmental clearance and if there is any area discrepancies, same be pointed out. Also inspection be conducted to know the present status.
	Case be considered after implementation of decision of Scrutinizing Committee.

	18
	23838
	09-10-2007
	INDIA TRADE PROMOTION ORGANIZATION
	AMUSEMENT PARK, GATE NO-9, PRAGATI MAIDAN
	NC-C
	 
	 30.01.2009
While amusement park at ITO has been closed, ITPO operates in a large area with several restaurants and several mass scheme exhibition involving air, noise and water pollution. In view of the above, MS may write to DG, ITPO to take Consent to Establish clearly indicating the air, noise and water pollution and how it will be curbed. Call on 18.03.2009
                 22.05.2009
Issue final reminder. Call on 08.07.2009
	Final reminder issued On 22.06.09
Reply awaited.
	Recommended for making this Consent to Establish application infructuous and issue SCN u/s 21/22 of the Air Act and u/w 25/26 of the Water Act to ITPO in view of CMC decision dated 30.01.2009.
	D.O. letter to Chairman, ITPO be put up asking to advise restaurants operating there may obtain the consent from DPCC immediately. 

	19
	23976
	19-10-2007
	CHANAKYA PURI SERVICE STATION
	OUTER RING ROAD, MEERA BAGH, PASCHIM VIHAR
	NC-W
	Car repair & Service Station 
	Decision on 20.03.09
Ask the unit to apply for consent to operate, authorization under HWM Rules, submit affidaviot about source of water supply, for installation of ETP and for non installation of DG Set.Call on 29.04.09.

Decision on 11.05.09
Issue final remider for full complaince of earlier CMC decision.Call on 24.06.09

Decision on 24.06.09
Time allowed for one month.
Call on 26.08.09
	Letter dated 17.07.09 issued.
Unit has applied for CTO & Authorization under HWM on 04.08.09.
NMR of DG Set & Adequacy of ETP submitted


As per CTO Application:
Trade Effluent - 2.2 KLD
DG set- 62.5 KVA.

GW- 2 KLD
Letter dated 17.07.09 issued.
	Ask the unit to file letter certifying  from the Oil Company certifying that dealership agreement is valid as on date. 
	Valid dealership agreement available in CTO file. Issue Consent to Establish.

	20
	24029
	24-10-2007
	FARGO ESTATES PVT. LTD
	C-2, SAKET
	NC-S
	 
	                                     24.11.2008
SIT indicates following deficiencies (a) The unit consumes 115 KLD of water generating 58 KLD of waste water which is being discharged into the drain without any treatment (b) The unit is generating hazardous waste without applying for authorization under HWM Rules. Also the unit is not maintaining any record or provided display board for the same (c) ETP is non functional and is created to hoodwink the DPCC (d) A 1000 KVA D.G. Set is without adequate stack height. 
In view of the above, notice for closure be issued immediately. Call on 10.12.2008. 
                                 11.12.2008
SIT to inspect and report. Call on 23.12.2008
                                   23.12.2008
SIT inspection report to be shown to advocate for advising regarding prosecution / closure / any direction. File be submitted administratively to the Chairman, DPCC by Saturday i.e. 27.12.2008.
                                   22.05.2009
File be submitted administratively after proper examination of the reply received.
	SCN issued on 16.02.2009
Reply received stating that ETP upgraded and STP to be put up.
Matter subjudice, Eds Rs.40.00 lakh. BG-95.00 lakh
	Matter subjudice.
	Ask the unit to file the status about installation / commissioning of the STP.

	21
	24043
	29-10-2007
	NATIONAL BUILDINGS CONSTRUCTION CORPORATION LTD
	SECTOR-5, PUSHP VIHAR
	NC-S
	 
	 
	Unit was asked to put STP. Adequacy report submitted.
	Recommended for grant of Consent to Establish.
	Issue consent to establish.

	22
	24087
	01-11-2007
	BRIGHTWAYS HOUSING & LAND DEVELOPMENT LTD
	PLOT NO-7, DISTRICT CENTRE, JASOLA
	NC-S
	 
	                                18.12.2008
SIT to inspect immediately and report. Call on 23.12.2008
                                     23.12.2008
SIT inspection report to be shown to advocate for advising regarding prosecution / closure / any direction. File be submitted administratively to the Chairman, DPCC by Saturday i.e. 27.12.2008.
	SCN for closure was issued. Matter subjudice. Case was adjourned on 16.12.2008. Stay on Bank Guarantee and environmental damages with liberty to take action as per law. Matter subjudice. Applied for CTO.
 Eds Rs.72.00 lakh. BG-1.50 crore
	Inspection be conducted to know the present status.
	Case be considered after implementation of decision of Scrutinizing Committee.

	23
	24171
	07-11-2007
	HALDIRAM PRODUCT (PVT) LTD
	1867-1868, GHANTEWALAN, CHANDNI CHOWK,
	NC-N
	Mfg of Sweets & Namkeen
	 
	Applied for CTO on 05.12.2007
Applied for CTE on 07.11.2007

The matter in the lower court is sub judice as as during the maily yamuna drive the unit was sealed. 
	Ask the unit to file valid health licence from MCD.
	Case be considered after implementation of decision of Scrutinizing Committee.

	24
	24172
	07-11-2007
	HALDIRAM PRODUCT (PVT) LTD
	2032-2033, KATRA LACHHU SINGH CHANDNI CHOWK
	NC-N
	Mfg of Sweets & Namkeen
	                                       16.03.2009
Ask the unit to file permission from Central Ground Water Authority for extractinng the ground water and affidavit for stack height & acousic enclosure of DG Set. Call o 29.04.2009.
                                       11.05.2009
Issue final reminder for full compliance of earlier CMC decision with direction to seek permission of ground water extraction from DJB in view of new orders.
                                        24.06.2009
Time allowed for one month. Call on 26.08.2009
	Applied for CTO on 05.12.2007
Applied for CTE on 07.11.2007

Letter issued on 20.07.2009 for submitting the compliance of earlier CMC decision dated 16.03.2009 within one month.

Reply received.
	Ask the unit to file valid health licence from MCD.
	Case be considered after implementation of decision of Scrutinizing Committee.

	25
	24186
	12-11-2007
	MAHARAJA AGRASEN COLLEGE
	FC-26, AGRASEN COLLEGE, VILLAGE DALLUPRA, VASUNADHARA ENCLAVE,  (UNDER DELHI UNIVERSITY COLLEGE)
	NC-E
	Education
	                       03.6.08
Issue reminder for submission of a copy of Environmental Clearance, an affidavit indicating date of start of construction & date of completion, completion certificate, approved architectural drawing, details of builtup area, plot area, waste water discharge, ground water drawl, permission from Central Ground Water Authority, water cess payment as per Water Cess Act, 1977, DG sets . Call on 11.07.2008.
                    30.09.2008
Paste letter on premises. Call on 30.10.2008
                     05.11.2008
Issue final reminder. Call on 10.12.2008
                    11.12.2008
Get it pasted. Call on 14.01.2009
                     14.01.2009
Issue final reminder. Call on 04.03.2009
                      04.03.2009
Issue final reminder. Call on 09.04.2009
                      09.04.2009
Letter be issued to office address. Call on 19.05.2009
                      15.06.2009
Call for personal hearing on 29.07.2009
	Built Up Area (as per CTE application: 20,217 sqm) (C/28)

Letters issued on 12.06.08, 21.11.08, 28.01.09, 24.03.09 & 28.04.09 for submission of a copy of Environmental Clearance, an affidavit indicating date of start of construction & date of completion, completion certificate, approved architectural drawing, details of builtup area, plot area, waste water discharge, ground water drawl, permission from Central Ground Water Authority, water cess payment as per Water Cess Act, 1977, DG sets 

Reply received on 22.06.2009 & on 16.07.09 stating that EC is not reqired as built up area is less than 20, 000 sqm (copy of approved architectural drawing enclosed). Also an affidavit regarding date of commissioning of construction i.e 04.04.2009 & completion of construction i.e 03.04.2011 and built up area now mentioned in this affidavit i.e 19,476.83 sqm but not informed regardng date of start. Unit was called for personal hearing on 29.07.2009. But the same has been cancelled as directed by competent authority. Accordingly, a letter was issued to the unit  on 28.07.2009.
	Call for personal hearing.
	Call for personal hearing in next CMC.

	26
	24271
	21-11-2007
	LARSEN AND TOUBRO LTD
	NEAR CISF GATE NO-2, D-BLOCK, M.B. ROAD SAKET
	NC-S
	RMC plant for DMRC
	 
	 
	Take action as per RMC existing policy.
	RMC policy be brought to the notice of CMC in next meting.

	27
	24391
	03-12-2007
	NIRULAS CORNER HOUSE PVT. LTD
	19, COMMUNITY CENTRE, EAST OF KAILASH
	NC-S
	Restaurant (44 seats)
	 
	Earlier CTO was valid upto1 4.04.2007
OGT installed
	Ask the unit to file valid eating house licence from Police Department.
	Case be considered after implementation of decision of Scrutinizing Committee.

	28
	24392
	03-12-2007
	HALDIRAM PRODUCTS PVT. LTD
	A-19, SHIVAJI MARG, NAJAFGARH ROAD
	NC-W
	Sweets, Snacks other eatable items.
	   03.12.08
The committee deliberated on this issue and decidede that Consent to Establish can be granted subject to the installation of Solar Water Heating System, Rain Water Harvesting structures CGWA Clearance. The unit must also apply for Consent to Operate immedietly. Call on 23.12.08.
              28.01.09
Call on 12.03.09.
               24.04.09
Issue final reminder for full compliace.call on 03.06.09.

              03.06.09
Time allowed. Call on 24.06.09.

              24.06.09
Time allowed for one month. Call on 26.08.09.
	

Trade Effluent - 60 KLD
DG set- 2X 250 KVA.
GW- 93 ltrs/day

Letter dated 15.07.09 issued.
Adequacy, Stack monitoring report of the stack attached to boiler, analysis report of water effluent & NMR submitted.
	Recommended for grant of Consent to Establish. Subsequently, inspection be conducted.
	Issue consent to establish. Inspection be conducted.

	29
	24402
	04-12-2007
	EXECUTIVE ENGINEER EASTERN DIV. NO-4/ DELHI DEV. AUTHORITY
	690 LIF HOUSES, MOLAR BANDH
	NC-S
	 
	 
	EIA clearance not submitted as asked
	Issue final reminder.
	Case be considered after implementation of decision of Scrutinizing Committee.

	30
	24438
	10-12-2007
	 Executive Engineer,
Rohini Project Division - 9, 
	proposed the Construction of Slum houses near STP, Sector - 26, Phase - IV, Rohini,Delhi - 85
	NC-NW
	 
	
11.12.2008- Ask the unit to file itemwise compliance affidavit of environmental clearance's conditions. Call on 21.01.2009
21.01.2009- Issue final reminder. Call on 25.02.2009
25.02.2009-Call on 02.04.2009
02.04.09-Ask the unit to file proper compliance affidavit for environmental clearance’s conditions. Call on 12.05.2009.
22.07.09 -The unit came for personal hearing today and informed to the Committee that construction is at very preliminary stage. Contracts etc. are still to be awarded. The unit was directed to submit its statement on an affidavit. Call on 16.09.2009.
	Letter issued on 12.08.09 wherein the unit was directed to submit an affidavit regardinh the status of construction of the project. No reply received.

EC granted on 16.10.2008. unit has submitted a reply on 25.02.2009 but the item wise compliance of EC conditions was not in a proper format. 
	Issue final reminder.
	Case be considered after implementation of decision of Scrutinizing Committee.

	31
	24472
	12-12-2007
	ESS CEE CEE & ASSOCIATES (INDIA) PVT. LTD
	PLOT NO-2, SHIVAJI PLACE, DISTRICT CENTRE, RAJA GARDEN
	NC-W
	Multiplex complex
	                    17.11.08
The Committee considered the request of the unit but clarified that it had already given significant relief on environmental damages to the unit. The unit is given a last opportunity to file compliance by 17.12.2008. Call on 17.12.2008.  

                  18.12.08
Ask the DPCC lab to conduct wate water monitoring of STP. Call on 21.01.09 with test report of STP. Also call for personal hearing on 21.01.09 at 5.00 PM.
                    07.01.09
File to be submitted administratively with advocate's opinion.
                    30.01.09
ALO with the help of our advocate, to get the court order and submit the file administratively with the court order. ALO be advised to submit, watever transpires in the court, only in writing.
	As per CTE application:
Trade Effluent - NIL
DG set- 1750 KVA.
GW NIL

As per I/R report:
DG set- 3X500  KVA., 1X250kVA 
As per IR a boerwell exists at site.

The case is pending with Ho'ble Delhi High Court
	Inspection be conducted to know the present status.
	Case be considered after implementation of decision of Scrutinizing Committee.

	32
	24473
	12-12-2007
	VARDHMAN LAND DEVELOPERS PVT. LTD & PUSHPANJALI PROMOTERS PVT.LTD
	PLOT NO-11, SHIVAJI PLACE, DISTRICT CENTRE, RAJA GARDEN
	NC-W
	Shopping Mall
	                Decision on 23.12.08
The unit did not come for personal hearing today. The unit has neither complied with the CMC’s decision nor appeared for personal hearing today. The perusal of the record shows that this is the fit case for prosecution as per the advice of the DPCC advocate. Therefore, drafted by the advocate, prosecution proceedings may be initiated immediately and action taken be confirmed on 07.01.2009. Call on 07.01.2009.
	As per CTE application:
Trade Effluent - NIL
DG set- 2130 KVA.
GW- 125 KLD

As per I/R report:
DG set- 2X625  KVA., 1X 500 kVA & 1X 380 KVA 
GW- 125 KLD

The case is pending with Ho'ble Delhi High Court
	To check the status regarding prosecution from the Legal Cell.
	Prosecution be filed within a week without waiting for minutes and file be put up in next meeting with status. 

	33
	24596
	28-12-2007
	LARSEN & TOUBRO LTD, DIAL PROJECT SITE
	IGI AIRPORT, TERMINAL-3
	NC-SW
	Production of asphalt for construction of Runway for IGI Airport Terminal-III.
	 
	CTE for (200 TPH and 260 TPH HMP). issued on 24.08.07 valid upto 23.08.08.
Applied for CTO (200 TPH and 260 TPH HMP) on:27.09.07.
Applied for CTE (160 TPH HMP) on 28.12.07
	Inspection be conducted to know the present status.
	Inspection be conducted to know the present status without waiting for minutes and file be put in next meeting.

	34
	24680
	07-01-2008
	STC DEVELOPERS (P) LTD
	CROSS RIVER MALL, PLOT NO9B & 9C, CENTRAL BUSINESS DISTRICT, SHAHDARA
	NC-E
	Commercial Complex
	                     25.03.2009
Ask the unit to file completion report of STP which puts this case into the fourth category and if it reuses the treated waste water also, it gets further concession under fifth category. Call on 05.05.2009
                               06.05.2009
Call on 12.06.2009 in view of the fact that STP is still not completed.
                               12.06.2009
Call on 05.08.2009
	Letter issued on 17.04.2009 askng the unit to file completion report of STP which puts this case into the fourth category and if it reuses the treated waste water also, it gets further concession under fifth category.

Reply received on 01.05.2009 in this regard stating that installation of STP is in advance stage and it also intimated that it will be using treated waste water for gardening, and zero discharge water balance will be achieved.

Case was taken up by CMC (O ) on 06.05.09 & decided to Call on the case on 12.06.2009 in view of fact that STP is still not completed. Case was again taken up on 12.06.2009 and decided to Call on 05.08.2009.
The unit has deposited Rs. 1 crore out of Rs. 1.35 crores total damages and no Bank Guarantee  has  been deposited so far in compliance of earlier decision of CMC on 31.07.2008 . 
	Inspection be conducted to know the present status.
	Case be considered after implementation of decision of Scrutinizing Committee.

	35
	24681
	07-01-2008
	SUNCITY PROJECTS PVT. LTD
	NORTH SQURE MALL, COMMERCIAL COMPLEX, PLOT NO F-1,2,3, NETAJI SUBHASH PLACE, WAZIRPUR DISTRICT CENTRE
	NC-NW
	Shopping Mall
	07.01.2009- Ask the unit to file first interim report. Call on 18.02.2009. 
SIT indicates that there are other units in the same location which have not taken Consent to Establish. SIT to furnish the complete list for such units so that  notices may be issued for filling Consent to Establish immediatley. Call on 18.02.2009 for all such units.
20.02.2009- Ask the unit to submit interim progress report for STP installation. Call on 25.03.2009
25.03.2009- Call on 05.05.2009
06.05.2009- Call on 12.06.2009 along with adequacy report.
12.06.2009-Call on 05.08.2009
	> Reply received dated 03.06.2009 stating that due to economic crisis and some technical/ feasibility reasons the work of instalations is delayed and expected to be completed by second week of august 2009.
	Issue final reminder for adequacy report. SIT to provide the list of other units. 
	Issue final reminder for adequacy report. List to be traced from the record of CMC.


	Sl. No 
	ID No
	appl_dt
	firm_name
	firm_address
	area_name
	Category
	Proposed  Activity/ Product
	Earlier CMC Decisions  
	Quantity of Ground water extraction
	ATR / Remarks
	Recommendations of Scrutinizing Committee on 07.01.2010 / 08.01.2010
	Decision on 21.01.2010

	1
	20821
	12.03.07
	Minocha Metal Pvt. Ltd.
	409, FIE
	Patparganj Industrial Area
	Renewal
	Mfg. of Brake Shoe and Clutch plates
	 
	 Nil (as per consent application). However, during the inspection borewell found exist in the premises.
	 
Trade Effluent: 150 lit/day appox. (as reported)
DG Set: 62.5 KVA with stack height of 2m above the building height.(NMR enclosed)

A complaint was received against the unit accordingly an inspection was carried out by DPCC officials on 10.12.09 and it was observed that 
-Unit found in operation.
-The unit has not installed ETP for dipping, colouring and cleaning process with anodine after sand blasting process and borewell exist in premises.
-The 2 nos. of Bag House filter with grinder, lancer & ID machine and other with duplex machine are not proper as suction is not adequate and also stack/ducting found in broken condition & inadequate height. 
-The stacks/ ducting with electric oven at GF and stack with eletric oven and one hydraulic press at basement are not adequate.
-Ducting with the 3 Hydraulic press at the basement is not completed and not connected to any stack.
-4 nos. of power press and one hydraulic press are non operational as the unit has closed/stopped mfg. of clutch plate w.e.f. 01.06.07
-No measures w.r.t hazardous waste management 
has been taken by the unit.

Now unit has submitted an affidavit on 05.01.10 and 
certified that they are not using thatwater for 
colouring at the very small level forever.
	Issue notice for rectification of deficiencies and refer to DJB for ground water extraction.
	Issue notice for rectification of deficiencies and refer to DJB for ground water extraction. Also ask the unit to apply for Consent to Establish.

	2
	23886
	12-10-2007
	SHREE KRISHNA PLASTICS
	PLOT NO 1/536-D/12, GALI NO-4
	FRIENDS COLONY INDUSTRIAL AREA
	Establish
	Mfg of PVC compound
	Decision of  Scrutinizing Committee on 13.10.2009 & 14.10.2009:
Issue SCN for refusal  of consent and closure.

Decision on 20.10.09:
Case be considered after implementation of decision of Scrutinizing Committee.
	Nil
	SCN for refusal of consent and Show Cause Notice for closure u/s 31 (A) of Air Act were issued to the unit on 26.11.09.
Reply received from the unit on 10.12.09,  stating that they have provided the Canopy hood and suction arrangement with stack of 12m. Emission from the activity of the unit within the prescribed limit of DPCC and Stack monitoring report from DPCC Lab. is also enclosed. Unit has also submitted the Bank Gaurantee of Rs. One lakh as per the direction, but of the perusal of the bank gaurantee it was found that unit has undertake to pay the same to Local Area Environment Committee in insted of DPCC
	Ask the unit to submit Bank Guarantee in favour of DPCC. 
	Ask the unit to submit corrected Bank Guarantee once it is received, consent to establish will be granted.

	3
	23887
	12-10-2007
	GURU KIRPA PLASTICS
	PLOT NO 1/536-D/12, GALI NO-4
	FRIENDS COLONY INDUSTRIAL AREA
	Establish
	Mfg of PVC Compound
	Decision of  Scrutinizing Committee on 13.10.2009 & 14.10.2009:
Issue SCN for refusal  of consent and closure.

Decision on 20.10.09:
Case be considered after implementation of decision of Scrutinizing Committee.
	 
	SCN for refusal of consent and Show Cause Notice for closure u/s 31 (A) of Air Act were issued to the unit on 26.11.09.
Reply received from the unit on 10.12.09,  stating that they have provided the Canopy hood and suction arrangement with stack of 12m. Emission from the activity of the unit within the prescribed limit of DPCC and Stack monitoring report from DPCC Lab. is also enclosed. Unit has also submitted the Bank Gaurantee of Rs. One lakh as per the direction.
	Recommended for grant of consent to establish.
	Issue consent to establish.

	4
	31068
	11.08.09
	Interglobe Hotels Pvt. Ltd.,
	 IBIS Hotel, Asset. No 9, Hospitality District, Delhi Aerocity, Delhi International Airport, New Delhi
	Delhi Aerocity, Delhi International Airport, Delhi
	Establish
	IBIS Hotel
	 
	NIL
	G.W:-NIL
Source of Water -
Construction Phase- Water Tankers, Operational Phase- From DIAL
D.G Set:3 X 750 KVA (Proposed)
2 Hot Water Generator (Fuel- Gas)
Domestic Effluent: 275 KLD
Trade Effluent : 5 KLD (Filter Back wash-ultimately going to STP)

Month and Year of Commemcement of production as per submitted application is September, 2010.

A letter dated 18.12.09 received from Deputy Director General, Ministry of Tourism, Government of India requesting to consider to take up this case on priority basis so that the hotel project can be implemented as per schdule and ready for the Games.
	Recommended for grant of consent to establish.
	Issue consent to establish.

	5
	31278
	31.08.09
	Theme Export Pvt. Ltd.
	F-25/1, Phase-II
	Okhla Industrial Area
	Establish
	Mfg. of readymade garments, Home furnishing & accessories with washing
	Decision of  Scrutinizing Committee on 04.11.09
Matter be put up on file.

Decision on 11.11.09:
Issue SCN for closure u/s 33(A) of the Water Act.
	 
	SCN for closure issued on 11.12.09.
Reply received on 29.12.09 stating that unit has installed ETP and have also applied for adequacy report in GGSIPU. Due to some technical faults ETP was not operational for two days and now ETP is properly in operation. PVC container has been installed for Hazardous waste storage.
	Ask the unit to submit Bank Guarantee  of Rs. 1 Lakh each under all the three Acts valid for one year.
	Case be considered after implementation of decision of Scrutinizing Committee.

	6
	31180
	21.08.09
	Vivek Automobile Ltd.
	A-1
	Mohan Co-opertaive Indl. Estate.
	Operate
	Servicing, reparing and washing of cars
	Decision of  Scrutinizing Committee on 04.11.09
Issue SCN for refusal of consent  and SCN for closure in view of concealment of facts.

Decision on 11.11.09:
Issue SCN for refusal of consent  and SCN for closure in view of concealment of existence of D.G. Set.
	 
	SCN for closure issued on 11.12.09.
Reply received on 23.12.09 stating that approach to ETP has been made with permanent M.S. ladder.Stack height of DG set has been raised above rrof level.ETP is operational and are not discharging effluent without treatment. ETP sludge has been stored as per HWM rules.
	Ask the unit to submit Bank Guarantee  of Rs. 1 Lakh each under all the three Acts valid for one year.
	Case be considered after implementation of decision of Scrutinizing Committee.

	7
	24666
	03.01.2008
	Prominent Hotel Ltd. "Hotel Connaught"
	37, Shaheed Bhagat Singh Marg, Connaught Place.
	New Delhi
	Renewal
	Hotel
	 
	80kld
	CTE granted and valid up to 17.04.09
CTO granted & valid up to 27.06.07
CTR applied on 03.01.08.
Applied for HW on 20.09.08.
Inspection conducted on 04.06.09
	Recommended for granat of renewal of consent.
	Inspection be conducted. If, there is no borewell as asserted in the reply of the hotel, issue renewal of consent.

	8
	30680
	13.07.2009
	Maurya Hotel
	Diplomatic Enclave, New Delhi
	New Delhi
	Renewal
	Five star , Deluxe Hotel
	 
	300 kl/d
	CTO granted and valid up to 15.07.02
CTO granted and valid up to 08.07.03
CTR granted & valid up to 08.06.06
CTR granted and valid up to 08.06.09
Auth. Granted on 26.10.04
Unit has applied for Auth. On  12.12.08
Unit has submitted CGWA clearance, AR(jul  09).
Inspection done on 08.12.09.
	Recommended for granat of renewal of consent.
	Issue renewal of consent.

	9
	 
	 
	Jolly Ice and Cold Storage
	A-18, Lawrence Road Industrial Area
	Lawrence Road Industrial Area
	Renewal
	Cold Storage
	 
	400L/D
	CTR granted and valid up to 22.01.09
	Refer to DJB for ground water extraction.
	Case be considered after implementation of decision of Scrutinizing Committee.

	10
	 
	 
	Jolly Ice and Cold Storage
	A-18, Lawrence Road Industrial Area
	Lawrence Road Industrial Area
	Renewal
	Meat Processing & Freezing
	 
	20KLD
	CTO Granted and valid up to 05.02.09.
Adequacy Report of ETP submitted
	Refer to DJB for ground water extraction.
	Case be considered after implementation of decision of Scrutinizing Committee.

	11
	29732
	01.05.2009
	Pearl Appliances Pvt. Ltd.
	A-84,GTK Road Industrial Area
	GTK Road Industrial Area
	Renewal
	Mfg. of Home Appliances(w/o Trade effluent)
	 
	NIL
	CTO granted & valid up to 25.07.05
CTR granted & valid up to 07.08.08
	Recommended for granat of renewal of consent.
	Issue renewal of consent.

	12
	31263
	28.08.2009
	Aar Aay Products Pvt. Ltd.
	C-1
	SMA Indl. Area
	Renewal
	Mfg. of PVC Soles(w/o Reprocessing)
	09.09.09-Refer to DJB for ground water extraction.
13.11.09- Put up in next CMC
	500 l/d
	CTO granted & valid up to 10.09.06
CTR granted & valid up to 08.09.06
CTR granted & valid up to 10.09.09
	Recommended for granat of renewal of consent. 
	Issue renewal of consent as DJB has not responded.


