Minutes of the 157th meeting of the Committee Constituted for Deciding the Consent under Orange Category, held on 21.01.2011 in the Conference Room of Chairman, DPCC.

   The following persons attended the meeting:

Sh. Dharmendra, Chairman, DPCC

Dr. A.K.Ambasht, Member Secretary, DPCC

Prof. S. K. Gupta, IIT-Delhi
Sh. M. Dwarakanth, SSO, Dept. of Env., GNCTD 
Sh. B. Kumar, SEE, DPCC. 
EEs of CMC –  I, II, III & IV.


AEEs of CMC – I, II, III & IV.


Following are the minutes of the meeting:- 

Agenda Item No. 1-  Fresh Consent to Operate/ Renewal cases under Orange category  w.e.f. 01.09.2010 considered by Scrutinizing Committee on 09.12.2010. 

Decisions recommended with respect to this agenda are tabulated and annexed as Annexure – 1. 

Agenda Item No. 2- Inspection conducted in compliance of earlier CMC's decisions considered by Scrutinizing Committee on 09.12.2010. 

Decisions recommended with respect to this agenda are tabulated and annexed as Annexure – 2. 

Agenda Item No. 3-  Fresh Consent to Establish cases under Orange category  w.e.f. 18.10.2010 excluding the cases of redevelopment areas considered by Scrutinizing Committee on 06.01.2011. 

Decisions recommended with respect to this agenda are tabulated and annexed as Annexure – 3. 

Agenda Item No. 4- Fresh Consent to Operate/ Renewal cases under Orange category w.e.f. 01.10.2010 excluding the cases of redevelopment areas considered by Scrutinizing Committee on 06.01.2011.
This agenda could not be taken up by the Committee, due to paucity of time, and it was decided to take up the same in the next meeting.

Agenda Item No. 5- Cases processed administratively for putting up in CMC considered by Scrutinizing Committee on 06.01.2011.
Decisions recommended with respect to this agenda are tabulated and annexed as Annexure – 4. 

Agenda Item No. 6- Inspection conducted in compliance of earlier CMC's decisions considered by Scrutinizing Committee on 06.01.2011.
This agenda could not be taken up by the Committee, due to paucity of time, and it was decided to take up the same in the next meeting.

Table Agenda Item No 1:- M/s Pushpak Press Pvt. Ltd., 203 & 204, DSIDC Shed, Phase-I, Okhla Industrial Area, New Delhi-110020

Decision regarding submission of affidavit regarding rectification of deficiencies, adequacy report of ETP, to apply for consent to operate and to submit Bank Guarantee of Rs. 50,000 each under all the three acts valid for one year taken on file ratified. 

Table Agenda Item No 2:- M/s Fabrika Internationale, A-203, Phase-I, Okhla Industrial Area, New Delhi-110020

Decision regarding submission of affidavit w.r.t. removal of washing facilities and also submit Bank Guarantee of Rs. 50,000 each under Air Act and Water Act valid for one year and also asking M/s Intercontinental Merchandise to apply for consent to operate immediately taken on file ratified. 

Table Agenda Item No 3:- M/s Govinda’s Rasoi (Food World), C-104, Phase-I, Okhla Industrial Area, New Delhi-110020

Decision regarding revocation of closure directions taken on file ratified. 

Table Agenda Item No 4:- M/s Sagar Ratna Hotels Pvt. Ltd., (Sagar Ratna), 24, Defence Colony, Delhi 

Decision regarding submission of Bank Guarantee of Rs. 50,000 under Water Act valid for one year taken on file ratified. 

Meeting ended with thanks to the chair.
	Annexure No 1

Fresh Consent to Operate / Renewal cases under Orange category w.e.f. 01.09.2010 excluding the cases of re-development areas considered by Scrutinizing Committee on 09.12.2010 and considered by CMC dated 21.01.2011.

	

	


	S. No.
	Enquiry Counter I.D. No 
	Application Date 
	Industry Name
	Industry Address
	Industrial Area 
	Category
	Activity / Product
	Consent Status 
	Earlier Committee Decision
	Remarks / Action Taken / ATR 
	Recommendations of Scrutinizing Committee on 09.12.2010
	Decision recommended by CMC(Orange) on 13.01.2011



	1. 
	35005  
	01-09-2010
	AMBIENCE DEVELOPERS PRIVATE LIMITED
	PLOT NO.2, VASANT KUNJ
	SOUTH WEST
	Orange Operate
	SHOPPING MALL
	Pending
	 
	08-12-2010 : Decsion on 13.08.2010

Unit has submitted the Environmental Damages and Bankl Guarantee on 

02.08.2010 in compliance of earlier CMC decision. Issue Consent to 

Establish

ATR/Remarks

CTE : issued valid upto 29.08.2011

Water Consumption : 89 KLD (Fresh), 417 KLD (Treated)

Waste Water generation : 

(a) Domestic effluent: NIL

(b) Trade effluent: NIL

Date of Commissioning:

STP: Yes, adequacy report submitted 

Test Report (Water) within limit : not submitted 

Test Report (Air) within limit :  not submitted 

NMR submitted : not submitted (D.G. Set of 1500 KVA)

Earlier CTE under Green category issued was refused on 23.03.2006
	 Ask the unit to submit the item-wise compliance affidavit of consent to establish and environmental clearance’s conditions.  Inspection be conducted. 
	 Ask the unit to submit the item-wise compliance affidavit of consent to establish and environmental clearance’s conditions.  Inspection be conducted.

	2. 
	35010
	01-09-2010
	VOLGA METAL INDUSTRIES
	BA-25, PHASE-II
	MANGOL PURI INDUSTRIAL AREA
	RENEWAL
	Bathroom fittings
	
	
	CTO Valid upto 01.08.2005 with C.No. 5854.
CTR applied on 21.11.2005 with Id 17048.
HWM rule authorization applied on 01.09.2010 with id.0391.

CTE : Not Applied
Water Consumption : 1500 ltr/day
Waste Water generation : 
(a) Domestic effluent: 300 ltr/day
(b) Trade effluent: 1000 ltr/day
Date of Commissioning: 2001
ETP : Installed 
Test Report (Water) within limit : Yes 
Test Report (Air) within
	Ask the unit to apply for consent to establish. 
	Consent to Establish is not required in view of DPCC Board decision. Issue renewal of consent and authorization under HWM Rules. 

	3. 
	35015  
	03-09-2010
	VISHAL PRODUCTS
	63, NAJAFGARH ROAD INDUSTRIAL AREA 
	Najafgarh Road Industrial Area
	Orange Renewal
	MFG OF PLASTIC GRANULES.
	Pending
	 
	08-12-2010 : Details:

CTE : Not  required. 

Water Consumption :220 LPD

Waste Water generation : 

(a) Domestic effluent: 150 LPD

(b) Trade effluent: NIL

Date of Commissioning: Jan 2000

ETP :  N/A

Test Report (Water) within limit :  N/A

Test Report (Air) within limit :  N/A

NMR submitted : N/A (No D.G. Set)

GW: NIL

ATR/Remarks:


CTO issued twice valid upto 21.02.2004 & 14.07.2007 vide consent order no 11407.

Applied for CTO_R on 06.09.2007 vide ID no 23403.
	Recommended for grant of renewal o consent with the condition to provide hood & suction arrangement followed by a duct raised well above the roof levels (at least 2.0 meter above roof level) to channelize the process emissions within 06 months.
	Issue renewal o consent with the condition to provide hood & suction arrangement followed by a duct raised well above the roof levels (at least 2.0 meter above roof level) to channelize the process emissions within 06 months.

	4. 
	35016  
	03-09-2010
	MISTUBHA ENTERPRISES
	114, SEC-5, PKT-H, DSIDC BAWANA INDUSTRIAL AREA 
	Bawana Industrial Area
	Orange Operate
	PVC Wire and Cable, Auto Parts by moulding M/c and engg. works.
	Pending
	 
	08-12-2010 

: CTE :YES valid from22.06.2006 to 21.06.2007

Water Consumption :220 LPD

Waste Water generation : 

(a) Domestic effluent: 150 LPD

(b) Trade effluent: NIL

Date of Commissioning:1-6-2007

ETP :  NA

Test Report (Water) within limit :NA  

Test Report (Air) within limit :  NA

NMR submitted : NA
	 Ground water nil. Recommended for grant of consent to operate with the condition to provide hood & suction arrangement followed by a duct raised well above the roof levels (at least 2.0 meter above roof level) to channelize the process emissions within 06 months. 
	Issue consent to operate with the condition to provide hood & suction arrangement followed by a duct raised well above the roof levels (at least 2.0 meter above roof level) to channelize the process emissions within 06 months.

	5. 
	35018  
	03-09-2010
	SUSHIL ICE FACTORY & COLD STORAGE PVT LTD.
	C-34/2, LAWRENCE ROAD INDUSTRIAL AREA 
	Lawrence Road Industrial Area
	Orange Renewal
	MEAT PROCESSING & COLD STORAGE.
	Pending
	 
	08-12-2010 : CTE : Not Applied

CTO issued on 17.09.2004 and valid upto 07.09.2007 with C.No. 11694.

CTR  valid upto 06.09.2010 with C.No. 17549.

Water Consumption : 39000 ltr/day

Waste Water generation : 

(a) Domestic effluent: 2000 ltr/day

(b) Trade effluent: 32000 lltr/day

Date of Commissioning: Jan,2002

ETP :  Installed.

Test Report (Water) within limit : Yes

Test Report (Air) within limit : N/A 

NMR submitted : Submitted
	Ground water nil.   Recommended for grant of renewal of consent.
	Issue renewal of consent. 

	6. 
	35022  
	03-09-2010
	BENTEX SWITCHGEARS PVT LTD
	B-63-65/3, NARAINA INDUSTRIAL AREA PHASE - II 
	Naraina Industrial Area Phase - II
	Orange Operate
	MFG OF ELECTRICAL ITEMS
	Pending
	 
	07-12-2010 : Earlier CMC Decision:

Decision on 27.04.2010

Revoke CTO_R  (Green)

Decision on 13.08.2010

Issue consent to establish. Inspection be conducted in about 03 months. 

Ask the unit to apply for consent to operate immediately.

Details:

CTE :issued valid upto 16.09.2011 vide consent order no 25576.

Water Consumption :9100 LPD

Waste Water generation : 

(a) Domestic effluent: 6000 LPD

(b) Trade effluent: 2000 LPD

Date of Commissioning:2005

ETP :  Yes, adequact report submitted 

Test Report (Water) within limit :  yes

Test Report (Air) within limit : yes (cyclone) 

NMR submitted : yes, dated 26.07.2010 (D.G. Set of 250 KVA & 320 KVA)

WG: NIL

ATR/Remarks:

CTO issued valid upto 29.10.2006 vide consent order no 9142.

Applied for CTO_R on 19.01.2007 vide ID no 20483.

Authorization under HWM Rules grant on 15.07.2004
	 Inspection be done.
	 Inspection be done.

	7. 
	35032  
	06-09-2010
	LEKHSONS PHARMACY
	GI-50, LAWRENCE ROAD INDUSTRIAL AREA 
	Lawrence Road Industrial Area
	Orange Renewal
	MFG. OF HONEY & SYRUP
	Pending
	 
	08-12-2010 : Wastewater test report is incomplete.

CTO (Renewal)  & authorization under HWM Rule applied on 06.09.2010.

CTE :  Not Applied

Water Consumption : 500 ltr/day

Waste Water generation : 

(a) Domestic effluent: 100 ltr/day

(b) Trade effluent: 300 ltr/day

Date of Commissioning: 2000 

ETP : Installed 

Test Report (Water) within limit : No 

Test Report (Air) within limit : N/A

NMR submitted : N/A
	 Ground water nil. Ask the unit to submit the fresh effluent analysis report with complete parameters from approved laboratory of DPCC. 
	Ask the unit to submit the fresh effluent analysis report with complete parameters from approved laboratory of DPCC.

	8. 
	35040  
	07-09-2010
	BRAKES INTERNATIONAL
	K-45, UDYOG NAGAR INDUSTRIAL AREA ROHTAK ROAD
	Udyog Nagar Industrial area
	Orange Renewal
	MFG. OF AUTO PARTS
	Pending
	 
	07-12-2010 : Details:

CTE : Not applied 

Water Consumption :0.16 KLD

Waste Water generation : 

(a) Domestic effluent: 0.13 KLD

(b) Trade effluent: NIL 

Date of Commissioning:1986

ETP :  N/A

Test Report (Water) within limit :N/A  

Test Report (Air) within limit :  N/A

NMR submitted :  N/A (No D.G. Set)

GW: NIL

ATR/Remarks:

CTO issued twice valid upto 10.04.2003 & 25.04.2007 respectively.

Applied for CTO_R on 25.04.2007 vide ID no 21122.
	Inspection be conducted to ascertain pollution potential. 
	Inspection be conducted to ascertain pollution potential.

	9. 
	35044  
	07-09-2010
	S.K. TRADERS
	A-50, PHASE-I, MAYAPURI INDUSTRIAL AREA
	Mayapuri Industrial Area
	Orange Operate
	SERVICE OF AUTOMOBILE
	Pending
	 
	08-12-2010 : Earlier CMC Decision:

Decision on 23.03.2010

Issued SCN for refusal of consent to establish and SCN u/s 33 (A) of the 

Water Act AND U/S 5 of the EPA for closure.

Details:

CTE :Applied on 17.10.2007 vide ID no 23939.

Water Consumption :1000 LPD

Waste Water generation : 

(a) Domestic effluent: 160 LPD

(b) Trade effluent: 800 LPD

Date of Commissioning:2009

ETP :  Yes, aqequacy report submitted 

Test Report (Water) within limit :  yes

Test Report (Air) within limit :  N/A

NMR submitted : N/A (No D.G. Set)

GW: 1000 LPD

ATR/Remarks:

SCN u/s 33(A) of the Water Act, SCN u/s 5 of EPA & SCN for refusal of 

consent issued to the unit on 10.05.2010

Unit submitted its reply on 25.08.2010 in which water analysis report 

attached.

Unit applied for fresh authorization under HWM Rules on 27.08.2010 vide 

ID no. 0384
	 Ask the unit to submit Bank Guarantee of Rs. 50,000 each under Water Act and HWM Rules valid for one year. If unit submits the Bank Guarantee, consent to operate and authorization under HWM Rules be issued.  Inform to DJB regarding ground water extraction. 
	 Ask the unit to submit Bank Guarantee of Rs. 50,000 each under Water Act and HWM Rules valid for one year. If unit submits the Bank Guarantee, consent to operate and authorization under HWM Rules be issued.  Inform to DJB regarding ground water extraction.

	10. 
	35045  
	07-09-2010
	NEELKANTH FOOD PRODUCTS
	F-1755, D S I D S, NARELA INDUSTRIAL AREA
	Narela Industrial Area
	Orange Operate
	FLOUR MILL.
	Pending
	 
	08-12-2010 : CTE : CTE obtained.

Water Consumption : 650 ltr/day

Waste Water generation : 

(a) Domestic effluent: 520 ltr/day

(b) Trade effluent: NIL 

Date of Commissioning: Jan,2010

ETP : N/A 

Test Report (Water) within limit : N/A

Test Report (Air) within limit :   

NMR submitted : N/A

01.07.2002

CTE grant.
	Ground water nil. Recommended for grant of consent to operate. 
	Issue consent to operate. 

	11. 
	35047  
	07-09-2010
	UNIQUE THERMOPACK CREATIONS
	E-639, DSIDC, NARELA INDUSTRIAL AREA
	Narela Industrial Area
	Orange Operate
	THERMOFORMING PRODUCT (HIPS / PP/ PET).
	Pending
	 
	08-12-2010 : CTE : Not Applied

CTO applied on 05.07.2007

Water Consumption : 300 ltr/day

Waste Water generation : 

(a) Domestic effluent: 275 ltr/day

(b) Trade effluent: NIL

Date of Commissioning: 1993

ETP : N/A 

Test Report (Water) within limit : N/A 

Test Report (Air) within limit : N/A 

NMR submitted : N/A
	Ground water nil. Ask the unit to apply for consent to establish. 
	Consent to Establish is not required in view of DPCC Board decision.   Inspection be conducted to check the activity of polyurethane. 

	12. 
	35048  
	07-09-2010
	JAMNA METAL COMPANY
	D-1513, NARELA INDUSTRIAL AREA 
	Narela Industrial Area
	Orange Renewal
	M.S. FABRICATION WITH GALVANIZING ACTIVITY.
	Pending
	 
	08-12-2010 : CTO (R) applied on 21.07.2007

CTE : Not Applied.

Water Consumption : 4500 ltr/day

Waste Water generation : 

(a) Domestic effluent: 400 ltr/day

(b) Trade effluent: NIL

Date of Commissioning: 1994

ETP : Yes

Test Report (Water) within limit : Yes 

Test Report (Air) within limit : N/A 

NMR submitted : N/A
	Ground water nil. Ask the unit to apply for consent to establish.
	Consent to Establish is not required in view of DPCC Board decision. Issue renewal of consent. Ask the unit to apply for fresh authorization under HWM Rules. 

	13. 
	35049  
	07-09-2010
	S.M.S. EXPORTS
	W-7, PHASE-II, OKHLA INDUSTRIAL AREA
	Okhla Industrial Area
	Orange Operate
	MANUFACTURING OF READY MADE GARMENTS (WITH WASHING)
	Pending
	 
	05-10-2010 : EARLIER CMC DECISIONS

127th

Issue SCN  for refusal of consent and SCN u/s 33(A) of Water Act as no ETP 

installed

134th

Ask the unit to submit Bank Guarantee of Rs. 1 Lakh each under Air Act, 

Water Act & HWM Rules valid for one year, failing which, court case will be 

filed.

13.08.10

Recommended for grant of consent to establish.

                                     ATR/REMARKS

CTE :Obtained 11.09.10 vide CNO 25510

Water Consumption :2500 l/d

Waste Water generation : 

(a) Domestic effluent: 400 l/d

(b) Trade effluent: 1900 l/d

Date of Commissioning:2009

ETP :  yes

Test Report (Water) within limit :  Yes

Test Report (Air) within limit :  Yes

NMR submitted : submitted dated 08.07.10

G W : nil

Adequacy of ETP submitted in July 2008.

SCN issued.

Reply received on 17.11.09 stating that  

i)by mistake information regarding ETP plant, generator and boiler was 

omitted. 

ii)And they have submitted an adequacy report on 12.10.09 and they have 

applied for NMR and report of boiler.

iii)water for washing is purchased from outside from tankers, borewell is 

not used.

File was submitted administratively and it was desired to submit whether 

any environmental damages can be leived.

BG submitted on 23.03.10.

CTE issued on 21.09.10 vide id no 25510.
	As per inspection report, unit is having two boilers and D.G. Set of 200 KVA. But unit has submitted the stack monitoring report of one boiler. Ask the unit to submit the stack monitoring report of the second boiler and the noise monitoring report of the D.G. Set of 200 KVA from approved laboratory of DPCC. 
	Ask the unit to submit the explanation regarding the discrepancies on an affidavit and submit stack monitoring report of the second boiler and noise monitoring report of the D.G. Set of 200 KVA from approved laboratory of DPCC. . 

	14. 
	35058  
	08-09-2010
	NATIONAL INDUSTRIAL CORPN
	222, FIE , PATPARGANJ INDUSTRIAL AREA 
	Patparganj Industrial Area
	Orange Renewal
	Mfg. of Plastic Granules.
	Pending
	 
	07-12-2010 : CTE :No

Water Consumption :1.2 KL/D

Waste Water generation : 

(a) Domestic effluent:0.15 KL/D 

(b) Trade effluent: 1.0KL/D

Date of Commissioning:2001.

ETP :  Yes, July 2010.

Test Report (Water) within limit :Yes  

Test Report (Air) within limit :.....  

NMR submitted : NA
	Ground water nil. Ask the unit to apply for consent to establish. 
	Consent to Establish is not required in view of DPCC Board decision. Issue renewal of consent. 

	15. 
	35065  
	08-09-2010
	HIFZUL REHMAN
	PLOT NO 360 PHASE-1 SHAHZADA BAGH INDUSTRIAL AREA
	Shahzada Bagh Industrial Area
	Orange Operate
	Manufacturing of PVC/plastic products cooler body and trunks.
	Pending
	 
	08-12-2010 : CTE : obtained on 09.11.2009.

Water Consumption : 150 lpd

Waste Water generation : 

(a) Domestic effluent: 120 lpd

(b) Trade effluent: Nil

Date of Commissioning: June 2010

ETP :  NA

Test Report (Water) within limit : NA  

Test Report (Air) within limit : NA  

NMR submitted : NA
	Ground water nil. Recommended for grant of consent to operate with the condition to provide hood & suction arrangement followed by a duct raised well above the roof levels (at least 2.0 meter above roof level) to channelize the process emissions within 06 months. 
	Issue consent to operate with the condition to provide hood & suction arrangement followed by a duct raised well above the roof levels (at least 2.0 meter above roof level) to channelize the process emissions within 06 months.

	16. 
	35066  
	08-09-2010
	VINAYAK UDYOG
	24 DSIDC SHEDS, SCHEME - III, OKHLA INDUSTRIAL AREA 
	Okhla Industrial Area
	Orange Operate
	MANUFACTURING OF POLYTHENE BAGS.
	Pending
	 
	18-10-2010 : DETAILS OF CASE

CTE : issued valid upto 16.04.2005 with CNO 10363

Water Consumption : 100Lt/d

Waste Water generation : 

(a) Domestic effluent: 80 Lt/d 

(b) Trade effluent: Nil

Date of Commissioning: 2004

ETP :  NA

Test Report (Water) within limit : NA  

Test Report (Air) within limit : NA 

NMR submitted : NA

D G Set : nil

G W : nil

CTO applied on 10.11.2005 with ID No 16969.
	Recommended for grant of consent to operate with the condition to provide hood & suction arrangement followed by a duct raised well above the roof levels (at least 2.0 meter above roof level) to channelize the process emissions within 06 months and also comply with the provisions of The Delhi Degradable Plastic Bag Act, 2000 envisaging the minimum thickness of plastic bag as 40 micron and size as 8" x 12".
	Issue consent to operate with the condition to provide hood & suction arrangement followed by a duct raised well above the roof levels (at least 2.0 meter above roof level) to channelize the process emissions within 06 months and also comply with the provisions of The Delhi Degradable Plastic Bag Act, 2000 envisaging the minimum thickness of plastic bag as 40 micron and size as 8" x 12".

	17. 
	35069  
	09-09-2010
	JAI BHAGWAN GOEL DALL MILLS
	C-65, SECTOR-4, DSIDC BAWANA INDUSTRIAL AREA
	Friends Colony Industrial Area
	Orange Operate
	Dal Mill.
	Pending
	 
	08-12-2010 : CTE applied on 09-10-2010.

CTO applied on 09-09-2010.

Water Consumption :200 LPD(ground water)

Waste Water generation : 

(a) Domestic effluent: 100 LPD

(b) Trade effluent: NIL

Date of Commissioning: June-2010

ETP :  NA

Test Report (Water) within limit :NA  

Test Report (Air) within limit :  NA

NMR submitted : NA
	Ground water “200 LPD”. Subsequent to the decision on CTE application regarding inspection, the unit has applied for CTO along with adequacy report and stack monitoring report. Recommended for grant of consent to operate.  Inform to DJB regarding ground water extraction. 
	Issue consent to operate. Also surprise inspection be conducted within 03 months. Inform to DJB regarding ground water extraction. 

	18. 
	35071  
	09-09-2010
	PARAS H.M. BAGS
	F-113, SECTOR-3, BAWANA INDUSTRIAL AREA
	Bawana Industrial Area
	Orange Operate
	MFg. of Plastic Granules
	Pending
	 
	08-12-2010 : CTE : YES

Water Consumption : 170 lpd

Waste Water generation : 

(a) Domestic effluent: 100 lpd

(b) Trade effluent: Nil

Date of Commissioning: June 2010

ETP :  NA

Test Report (Water) within limit :NA  

Test Report (Air) within limit :  NA

NMR submitted : NA
	Ground water nil. Recommended for grant of consent to operate with the condition to provide hood & suction arrangement followed by a duct raised well above the roof levels (at least 2.0 meter above roof level) to channelize the process emissions within 06 months.. 
	Issue consent to operate with the condition to provide hood & suction arrangement followed by a duct raised well above the roof levels (at least 2.0 meter above roof level) to channelize the process emissions within 06 months.

	19. 
	35072  
	09-09-2010
	MAGNUM PACKERS
	PLOT NO-75, SEC-4, PACKET-I, BAWANA INDUSTRIAL AREA
	Bawana Industrial Area
	Orange Operate
	Plastic Dana and Plastic Products by injection moulding
	Pending
	 
	08-12-2010 : CTE : YES

Water Consumption : 220 lpd

Waste Water generation : 

(a) Domestic effluent: 150  lpd

(b) Trade effluent: Nil

Date of Commissioning: April 2007

ETP :  NA

Test Report (Water) within limit : NA 

Test Report (Air) within limit :NA  

NMR submitted : NA
	Ground water nil. Recommended for grant of consent to operate with the condition to provide hood & suction arrangement followed by a duct raised well above the roof levels (at least 2.0 meter above roof level) to channelize the process emissions within 06 months..
	Issue consent to operate with the condition to provide hood & suction arrangement followed by a duct raised well above the roof levels (at least 2.0 meter above roof level) to channelize the process emissions within 06 months.

	20. 
	35076  
	09-09-2010
	CITY PARK HOTELS PVT. LTD.
	49/2/1, KAPASHERA (NH-8)
	SOUTH WEST
	Orange Operate
	MOTEL/HOTELS
	Pending
	 
	08-12-2010 : Earlier CMC Decision

Decision dated 05.08.2010

Inspection be conducted

ATR/Remarks

CTE : applied on 24.02.2009 vide ID no. 29099

Water Consumption :

Waste Water generation :  20 KLd

(a) Domestic effluent: 5 KLd

(b) Trade effluent: 10 KLD

Date of Commissioning:Oct, 2009

ETP :  yes, adequacy report submitted dated 04.08.2010

Test Report (Water) within limit :  yes, 

Test Report (Air) within limit :  N/A

NMR submitted : Yes, dated 29.07.2010

Inspection conducted on 21.09.2010, during the inspection following were 

observed:

1.) STP found installed in basement found filled with sewage generated 

during construction work. The filter press is yet to be commissioned. Proper 

STP is yet to be provided.

2.)- no Solar water heating system provided 

3.) no rain water harvesting system pits provided. 

4.) no organic composting system provided
	Ask the unit to submit the rectification of the deficiencies on an affidavit and also ask the report from the approved agencies in view of  CMC(Orange) decision dated 25.11.2010. Inform to DJB in view of the existence of the bore-well found during inspection. 
	Ask the unit to submit the rectification of the deficiencies on an affidavit and also ask the report from the approved agencies in view of  CMC(Orange) decision dated 25.11.2010. Inform to DJB in view of the existence of the bore-well found during inspection.

	21. 
	35077  
	09-09-2010
	PARKLAND HOSPITALITY PVT. LTD. (PARKLAND EXOTICA)
	KH. NO. 5 MIN, 6, 7 MIN, 8,9,10,11,& 14, VILLAGE SHAHOORPUR, CHATTARPUR MANDIR MARG
	SOUTH
	Orange Operate
	Motels for 42 rooms.
	Pending
	 
	03-12-2010 : EARLIER CMC DECISIONS

It is a complaint case:

         12.02.2010 / 15.02.2010

Issue SCN for clousre of the unit.

         26.05.2010

Decision taken on file  to provide the adequate stack height with the DG 

Set of 180 KVA and submit the bank guarantees of Rs. 50,000 under the 

Air Act & Water Act valid for one year ratified.

           06.09.10

Issue consent to establish. 

            ATR/REMARKS

CTE :  issued on 20.10.10 vide CNO 25785

Water Consumption : 55 KL/d

Waste Water generation : 

(a) Domestic effluent: 8 Kl/d

(b) Trade effluent: 20 Kl/d

Date of Commissioning: Sept 2009

ETP :  Yes

Test Report (Water) within limit : Yes  

Test Report (Air) within limit :  Yes

NMR submitted : SUbmitted dated 19.07.10

Ground water-55 KLD

D.G.Set- 62.5 KVA & 180 KVA

Adequacy of ETP dated July 2010 submitted.

Test Report of ETP dated 26.07.10 submitted.

Bank Guarantees of Rs. 50,000 under the Air Act & Water Act submiited on 

12.07.10.
	 Ask the unit to provide the proper stack height of the boilers and submit fresh stack monitoring report for both the boilers from approved laboratory of DPCC. Inform to DJB regarding ground water extraction. 
	 Ask the unit to provide the proper stack height of the boilers and submit fresh stack monitoring report for both the boilers from approved laboratory of DPCC. Inform to DJB regarding ground water extraction.

	22. 
	35080
	09-09-2010
	THE CANTABIL RETAIL INDIA LTD.
	B-16
	LAWRENCE ROAD INDUSTRIAL AREA
	OPERATE
	Mfg. of Readymade garment.
	
	
	CTE Issued on 18.02.2010 vide c.no. 22847.

CTE : Valid upto 17.02.2011
Water Consumption : 9 Kilo ltr/day
Waste Water generation : 
(a) Domestic effluent: 7 Kilo ltr/day
(b) Trade effluent: NIL
Date of Commissioning: 2009
ETP : N/A
Test Report (Water) within limit : N/A 
Test Report (Air) within l
	Ground water nil. Recommended for grant of consent to operate. 
	Issue consent to operate. 

	23. 
	   35081
	09-09-2010
	BHAWANI PRINTERS
	PLOT N.-125, FIE PATPARGANJ INDUSTRIAL AREA
	Patparganj Industrial Area
	Orange Operate
	Offset Printing (Without Trade Effluent)
	Pending
	 
	07-12-2010 : CTE : garanted  valid upto 03.06.2011.

Water Consumption :50 L/Day

Waste Water generation : 

(a) Domestic effluent: 30 L/Day

(b) Trade effluent: Nil 

Date of Commissioning: July 2010.

ETP :  No

Test Report (Water) within limit :NA  

Test Report (Air) within limit : NA

NMR submitted : NA, 

DG Set: nil
	 Ground water nil. Recommended for grant of consent to operate.
	Authorization applied on 09.09.2010. Issue consent to operate and authorization under HWM Rules. 

	24. 
	35087
	10-09-2010
	BAJRANG PLASTICS
	T-2/215, PHASE-I
	MANGOL PURI INDUSTRIAL AREA
	RENEWAL
	PVC footwear
	
	
	CTR valid upto 09.03.2009

CTE : Not Applied
Water Consumption :100 l/day
Waste Water generation : 
(a) Domestic effluent: 40l/day
(b) Trade effluent: Nil
Date of Commissioning:
ETP :  N/A
Test Report (Water) within limit : N/A 
Test Report (Air) within limit :  N/A
NMR submitted :
	Ground water nil. Recommended for grant of renewal of consent with the condition to provide hood & suction arrangement followed by a duct raised well above the roof levels (at least 2.0 meter above roof level) to channelize the process emissions within 06 months. Inform to DJB regarding ground water extraction. 
	Issue renewal of consent with the condition to provide hood & suction arrangement followed by a duct raised well above the roof levels (at least 2.0 meter above roof level) to channelize the process emissions within 06 months. Inform to DJB regarding ground water extraction.

	25. 
	35088  
	10-09-2010
	SANGAT PRINTERS PVT. LTD.
	C-115, NARAINA INDUSTRIAL AREA PHASE - I
	Naraina Industrial Area Phase - I
	Orange Renewal
	OFFSET PRINTING
	Pending
	 
	08-12-2010 : Earlier CMC Decision:

Decision on 07.05.2010

Issue Consent to Establish. Ask the unit to apply for Authorization under 

HWM Rules.

Details:

CTE :Issued valid upto 06.06.2011 vide consent no 24051.

Water Consumption :0.5 KLD 

Waste Water generation : 

(a) Domestic effluent: 0.4 KLD 

(b) Trade effluent: NIL

Date of Commissioning: 2004

ETP : Yes, 29.07.2010 

Test Report (Water) within limit : Yes

Test Report (Air) within limit :  N/A

NMR submitted : Yes, 29.07.2010

GW: NIL 

ATR/Remarks:

Letter issued to the unit on 14.01.2010.

CTO Issued valid upto 02.08.2009 vide consent no 11210 under Green 

category.

CTO Issued valid upto 31.05.2006 vide consent no. 12775 under Orange 

category.

CTO Issued valid upto 24.07.2005.

Applied for CTO_R on 31.05.2006 vide ID no 18332
	Ask the unit to submit the fresh effluent analysis report with complete parameters from approved laboratory of DPCC and to apply for fresh authorization under HWM Rules. 
	Ask the unit to submit the fresh effluent analysis report with complete parameters from approved laboratory of DPCC and to apply for fresh authorization under HWM Rules.

	26. 
	35090
	
	PARUL HOME PRODYCTS
	H-180, SECTOR-2, DSIDC
	BAWANA INDUSTRIAL AREA
	Orange

Operate
	Mfg. of Pressure Cooker
	Pending
	
	CTE  : applied on 10.09.2010

Water Consumption :0.2 KLD 

Waste Water generation : 

(a) Domestic effluent: 0.1 KLD 

(b) Trade effluent: NIL

Date of Commissioning: Jan, 2010

ETP : NA 

Test Report (Water) within limit : NA

Test Report (Air) within limit :  Yes. AR of ECS submitted.

NMR submitted : NA

GW: 0.2 KLD 


	Subsequent to the decision on CTE application regarding inspection, the unit has applied for CTO along with adequacy report and stack monitoring report. Recommended for grant of consent to operate.  Inform to DJB regarding ground water extraction.
	Issue consent to operate.  Inform to DJB regarding ground water extraction.

	27. 
	35091
	10-09-2010
	BADRI INDUSTRIES
	C-44
	WAZIRPUR INDUSTRIAL AREA
	RENEWAL
	Cold Re- Rolling of S.S. sheet (Without pickling)
	
	
	CTO (Renewal) Applied on  01.09.2010.

CTE : Not applicable.
Water Consumption : 180 ltr/day
Waste Water generation : 
(a) Domestic effluent: 150 ltr/day 
(b) Trade effluent: NIL
Date of Commissioning: 2001
ETP : N/A
Test Report (Water) within limit : N/A 
Test Report (Air) within limit : N/A 
NMR

Ground water : Nil.
	Ground water nil. Recommended for grant of renewal of consent. 
	Issue renewal of consent. 

	28. 
	35092  
	10-09-2010
	RAIS AHMAD
	114, SHAHZADA BAGH INDUSTRIAL AREA
	Shahzada Bagh Industrial Area
	Orange Operate
	Plastic products.
	Pending
	 
	08-12-2010 : CTE issued on 2-4-2003 valid from 22-7-2002 to 21-7-2005.

CTE applied on 3-9-2010

Water Consumption : 100 LPD

Waste Water generation : 

(a) Domestic effluent: NOT PROVIDED

(b) Trade effluent:  NIL

Date of Commissioning: 2010

ETP :  NA

Test Report (Water) within limit :NA  

Test Report (Air) within limit :  NA

NMR submitted : NA
	Ground water nil. Recommended for grant of consent to operate with the condition to provide hood & suction arrangement followed by a duct raised well above the roof levels (at least 2.0 meter above roof level) to channelize the process emissions within 06 months,  after the issuance of consent to establish in view of CMC decision dated 25.11.2010.
	Issue consent to operate with the condition to provide hood & suction arrangement followed by a duct raised well above the roof levels (at least 2.0 meter above roof level) to channelize the process emissions within 06 months,  after the issuance of consent to establish in view of CMC decision dated 25.11.2010.

	29. 
	35093
	10-09-2010
	S.K. ENTERPRISES
	D-1510, DSIDC
	NARELA INDUSTRIAL AREA
	RENEWAL
	Cookware and Utensils.
	
	
	CTO Issued on 14.06.2006.
CTR applied on 18.09.2007 with Id.No. 23548.

CTE : Not Applied
Water Consumption : 0.3 Kilo ltr/day
Waste Water generation : 
(a) Domestic effluent: 0.2 Kilo ltr/day
(b) Trade effluent: NIL 
Date of Commissioning: 2004
ETP : N/A 
Test Report (Water) within limit : N/A
Test Report (Air) within limit
	Ground water nil. Recommended for grant of renewal of consent. 
	Issue renewal of consent.

	30. 
	35094
	10-09-2010
	ROYAL SAFE COMPANY(KB)
	C-114
	NARAINA INDUSTRIAL AREA PH-I
	RENEWAL
	Mfg. of steel and wooden furniture.
	
	
	CTO_R Issued valid upto 23.02.2010 vide consent no 12710 under Green category.

CTE : Issued valid upto 17.11.2003 vide consent no. 2108 under Orange category for the activity of electrical control panel.
Water Consumption :0.120 KLD
Waste Water generation : 
(a) Domestic effluent: 0.100 KLD
(b) Trade effluent: NIL
Date of Commissioning: 1979
ETP :  N/A
Test Report (Water) within limit :  
Test Report (Air) within limit :  
NMR submitted :15 KVA,Yes Dated on 11.03.2010.  
	Ground water nil. Ask the unit to apply for consent to establish for the changed activity and inspection be conducted to ascertain the pollution potential.
	Ask the unit to apply for consent to establish for the changed activity and inspection be conducted to ascertain the pollution potential.

	31. 
	35099
	13-09-2010
	JANKI DASS MUKESH CHAND JAIN
	G-82, SECTOR-3, DSIDC
	BAWANA INDUSTRIAL AREA
	OPERATE
	Flour Mill
	
	
	CTE valid from 19-11-2009 to 18-11-2010

CTE : Yes
Water Consumption : 50 lpd
Waste Water generation : 
(a) Domestic effluent: 100 lpd
(b) Trade effluent: Nil
Date of Commissioning: 2009
ETP :  Nil
Test Report (Water) within limit : Nil  
Test Report (Air) within limit :  Nil
NMR submitted : Nil
	Ground water nil. Recommended for grant of consent to operate. 
	Issue consent to operate. 

	32. 
	   35105
	13-09-2010
	AMBITIOUS PENS PVT. LTD
	B-27, PH-I, MAYAPURI INDUSTRIAL AREA 
	Mayapuri Industrial Area
	Orange Renewal
	MFG OF WRITING OR WRITING INSTRUMENT AND PARTS
	Pending
	 
	07-12-2010 : Details:

CTE : Not applied 

Water Consumption :0.050 KLD

Waste Water generation : 

(a) Domestic effluent: .800 KLD

(b) Trade effluent: NIL 

Date of Commissioning:Jan 2000

ETP :  N/A

Test Report (Water) within limit :  N/A

Test Report (Air) within limit :  N/A

NMR submitted : Yes dated 08.09.2010 (D.G. Set of 125 KVA)

GW:450 LPD

ATR/Remarks:

Earlier CTO issued was refused on 18.12.2003.

CTO issued valid upto 09.08.2007 vide consent order no 11486.

Applied for CTO_R on 06.09.2007 vide ID no 23401.
	Ask the unit to apply for consent to establish. Inform to DJB regarding ground water extraction. 
	Inspection be conducted. 

	33. 
	35107  
	13-09-2010
	SINGH FAB. PROCESSORS
	C-204/2, PH-II, MAYAPURI INDUSTRIAL AREA 
	Mayapuri Industrial Area
	Orange Operate
	WASHING AND DYEING OF READYMADE GARMENT
	Pending
	 
	08-12-2010 : Details:

CTE : applied on 10.04.2007 vide ID no 21019

Water Consumption :10 KLD

Waste Water generation : 

(a) Domestic effluent: 1.4 KLD

(b) Trade effluent: 6 KLD

Date of Commissioning:2009

ETP :  Yes, adequacy report submitted 

Test Report (Water) within limit :  yes 

Test Report (Air) within limit :  Yes (boiler)

NMR submitted : yes dated 16.08.2010 (D.G. Set of 125 KVA)

GW: 8 KLD

ATR/Remarks:

Applied for fresh authorization under HWM rules on 10.06.2010 vide ID no 

0188.
	Recommended for grant of consent to operate and authorization under HWM Rules. Inform to DJB regarding ground water action.  
	Issue consent to operate and authorization under HWM Rules. Inform to DJB regarding ground water action.  

	34. 
	35113  
	14-09-2010
	CALLIDA ELECTRICALS (P) LTD.
	216, FIE PATPARGANJ INDUSTRIAL AREA
	Patparganj Industrial Area
	Orange Operate
	Mfg. of C.R.Sheet Boxes Arc chute plug and socket.
	Pending
	 
	07-12-2010 : CTE :granted valid upto 29.08.2011.

Water Consumption :5000 L/Day

Waste Water generation : 

(a) Domestic effluent: 800 L/Day

(b) Trade effluent: 4000 L/Day

Date of Commissioning: July2010.

ETP :  Yes (Aug 2010)

Test Report (Water) within limit :  Yes

Test Report (Air) within limit :  NA

NMR submitted : Yes, 25.08.2010.

DG Set: (Two DG set of each)63 KVA.

GW: 5000 L/Day
	Recommended for grant of consent to operate. Inform to DJB regarding ground water extraction. 
	Authorization applied on 21.09.2010. Issue consent to operate and authorization under HWM Rules. 

	35. 
	35118  
	15-09-2010
	ORIENT RUBBER & ALLIED INDUSTRIES
	69/6A NAJAFGARH ROAD INDUSTRIAL AREA
	Najafgarh Road Industrial Area
	Orange Renewal
	MFG OF AUTO PARTS HOSE PIPE
	Pending
	 
	08-12-2010 : Details:

CTE : Not applied 

Water Consumption :500 LPD

Waste Water generation : 

(a) Domestic effluent: 100 LPD

(b) Trade effluent:NIL  

Date of Commissioning:1975

ETP :  N/A

Test Report (Water) within limit :  N/A

Test Report (Air) within limit :  yes (thermic fluid heater)

NMR submitted :yes, dated 28.07.2010 (D.G. Set of 20 KVA)

GW: NIL

ATR/Remarks:

CTO issued twice valid upto 17.04.2005 & 08.12.2008 respectively.
	Ground water nil. Recommended for grant of renewal of consent. 
	Issue renewal of consent. 

	36. 
	 35123
	15-09-2010
	PUNJAB PLASTICS
	K-8, UDYOG NAGAR INDUSTRIAL AREA 
	Udyog Nagar Industrial area
	Orange Renewal
	MFG OF FOOTWEAR
	Pending
	 
	07-12-2010 : Details: 

CTE : Not applied 

Water Consumption :0.36 KLD

Waste Water generation : 

(a) Domestic effluent: 0.28 KLD

(b) Trade effluent:NIL 

Date of Commissioning:1990

ETP :  N/A

Test Report (Water) within limit :  N/A

Test Report (Air) within limit : N/A

NMR submitted : N/A (No D.G. Set)

GW: NIL

ATR/Remarks:

Earlier CTO issued twice valid upto 24.09.2003 14.09.2006 respectively.

CTO_R issued twice valid upto 24.09.2009
	Ground water nil. Recommended for grant of renewal of consent with the condition to provide hood & suction arrangement followed by a duct raised well above the roof levels (at least 2.0 meter above roof level) to channelize the process emissions within 06 months. 
	Issue renewal of consent with the condition to provide hood & suction arrangement followed by a duct raised well above the roof levels (at least 2.0 meter above roof level) to channelize the process emissions within 06 months.

	37. 
	35125  
	15-09-2010
	S.R. INDUSTRIES
	PLOT NO.20, GALI NO.7, FRIENDS COLONY INDUSTRIAL AREA 
	Friends Colony Industrial Area
	Orange Renewal
	Copper Wire Drawing and Super Enameling.
	Pending
	 
	07-12-2010 : CTE obtained & valid upto 18.07.2003.

(Water Consumption :100 L/D

Waste Water generation : 

(a) Domestic effluent: 30 L/D

(b) Trade effluent: Nil

Date of Commissioning:2004, existing.

ETP :  NA

Test Report (Water) within limit :  NA

SMR:Yes03.08.2010.

Test Report (Air) within limit :  NA

NMR submitted : NA(DG Set:Nil)

SCN u/s 31A was issued to the unit on 24.04.2009.

for not allowing inspection on 23.07.2009. Reply received that pls withdraw 

the SCN.
	Inspection be conducted.   
	File be put up administratively. 

	38. 
	35128  
	16-09-2010
	OM PRAKASH TEK CHAND
	PLOT NO.127, SEC-4, POCKET-I, DSIDC, BAWANA INDUSTRIAL AREA
	Bawana Industrial Area
	Orange Operate
	Mfg. of Auto parts by moulding m/c and engg. works.
	Pending
	 
	08-12-2010 : CTE : YES CTE valid from22.08.2006 to 21.08.2007

Water Consumption : 220 lpd

Waste Water generation : 

(a) Domestic effluent: 150 lpd

(b) Trade effluent: Nil

Date of Commissioning: Nov 2006

ETP :  NA

Test Report (Water) within limit : NA  

Test Report (Air) within limit : NA  

NMR submitted : NA


	Ground water nil. Recommended for grant of consent to operate with the condition to provide hood & suction arrangement followed by a duct raised well above the roof levels (at least 2.0 meter above roof level) to channelize the process emissions within 06 months..   
	Issue consent to operate with the condition to provide hood & suction arrangement followed by a duct raised well above the roof levels (at least 2.0 meter above roof level) to channelize the process emissions within 06 months.   

	39. 
	35131
	17-09-2010
	SHANKAR MOULDING LTD.
	36-A
	RAJASTHAN UDYOG NAGAR INDUSTRIAL AREA
	RENEWAL
	Plastic                                                   Molded goods & Mould's dies.
	
	
	CTO granted on 14.05.2004 and CTR applied on 10.05.2007.

CTE : Valid upto 08.04.2004
Water Consumption : 250 ltr/day
Waste Water generation : 
(a) Domestic effluent: 100 ltr/day
(b) Trade effluent: NIL
Date of Commissioning: 2003
ETP : N/A
Test Report (Water) within limit : N/A
Test Report (Air) within limit :
	Ground water nil. Recommended for grant of renewal of consent with the condition to provide hood & suction arrangement followed by a duct raised well above the roof levels (at least 2.0 meter above roof level) to channelize the process emissions within 06 months. 
	Issue renewal of consent with the condition to provide hood & suction arrangement followed by a duct raised well above the roof levels (at least 2.0 meter above roof level) to channelize the process emissions within 06 months.

	40. 
	35132  
	17-09-2010
	POOJA PLASTIC INDUSTRIES
	164, PKT-M, SEC-3, DSIDC BAWANA INDUSTRIAL AREA COMPLEX
	Bawana Industrial Area
	Orange Operate
	Mfg. of Electrical Accosires (Switches, Sockets, Plugs, Multi Plugs)
	Pending
	 
	08-12-2010 : CTE :YES valid from13.10.2009 to 12.10.2010

Water Consumption :100 LPD

Waste Water generation : 

(a) Domestic effluent: 50 LPD

(b) Trade effluent: NIL

Date of Commissioning:DEC 2009

ETP :  NA

Test Report (Water) within limit :NA  

Test Report (Air) within limit :  NA

NMR submitted : NA
	Ground water nil. Recommended for grant of consent to operate.
	Issue consent to operate with the condition to provide hood & suction arrangement followed by a duct raised well above the roof levels (at least 2.0 meter above roof level) to channelize the process emissions within 06 months.   

	41. 
	35133  
	17-09-2010
	S. R. ENTERPRISES
	128, DSIDC SHED, PHASE I, OKHLA INDUSTRIAL AREA 
	Okhla Industrial Area
	Orange Renewal
	Manufacturing of Plastic Moulded Components and Brass Sheet metal works.
	Pending
	 
	21-10-2010 : DETAILS OF CASE

CTE : Not applied

Water Consumption : 200 Lt/d

Waste Water generation : 

(a) Domestic effluent: 200 Lt/d

(b) Trade effluent: Nil

Date of Commissioning: 1990

ETP :  NA

Test Report (Water) within limit : NA 

Test Report (Air) within limit :  NA

NMR submitted : NA

D G Set : nil

G W : nil

CTO issued valid upto 13.06.2007 with CNO 11324.

CTR applied on 13.09.2007 with vd ID 23490.
	Ask the unit to apply for consent to establish. 
	Consent to Establish is not required in view of DPCC Board decision. Issue renewal of consent with the condition to provide hood & suction arrangement followed by a duct raised well above the roof levels (at least 2.0 meter above roof level) to channelize the process emissions within 06 months.

	42. 
	35134
	17-09-2010
	INDIAN OIL CORPORATION
	MATHURA JALANDHAR PIPELINE BIJWASAN
	SOUTH WEST
	Orange

Operate
	
	
	
	
	File be put up administratively. 
	Issue consent to operate. 

	43. 
	35135  
	17-09-2010
	MALLU FARM
	KH. NO. 204,205,208 & 228/2, VILLAGE SATBARI, CHATTARPUR MAIN ROAD 
	SOUTH
	Orange Operate
	lawn for marriage party.
	Pending
	 
	25-10-2010 : EARLIER CMC DECISIONS

        06.09.10

Issue consent to establish. Subsequently, inspection be conducted.

              ATR/Remark

CTE : issued

Water Consumption :  10Lt/d on Application Form and 5 Lt/d on Affidavit

Waste Water generation : 

(a) Domestic effluent: 200 Lt/d

(b) Trade effluent: 3500 Lt/d

Date of Commissioning: March 2010

ETP :  Yes

Test Report (Water) within limit :  Yes

Test Report (Air) within limit :  NA

NMR submitted : Submitted 

D G Set : 100 KVA and NMR dated 19.07.10 submitted.

G W : nil

 CTE issued on 20.10.10 vide CNO 25784.

Adequacy of ETP dated July 2010 and Tes Report dated 26.07.10 

submitted.

1. Inspection conducted on 25.10.10 and following were observed:

    a) The unit has installed an ETP which was found in operational 

condition.

     b) It reveals from the condition of ETP that it has not being operated 

since long.

     c) It was reported that ETP is not being operated as no party was 

organised about last two months, resulting in NIL generation of waste 

water.

     d) One bore well exists.
	Recommended for grant of consent to operate. Inform to DJB regarding ground water extraction. 
	Implement the CMC(Orange) decision dated 25.11.2010

	44. 
	35136
	17-09-2010
	LAVANYA CEREMONIAL PVT. LTD.
	KH. NO 57/7, 57/8, 57/13, 57/14 MIN VILLAGE - BAKOLI, MAIN G.T. KARNAL ROAD, PALLABAKHTAVARPUR ROAD, ALIPUR
	NC-NW
	OPERATE
	Motel  & Restaurent for 16 rooms.
	
	
	Letter issued on 01.09.2010.
Reply received on 09.09.2010.
B.G to be asked each under Air & Water act 
MCD licence dated 18.09.2009 submitted. 

CTE : Not Applied.
Water Consumption : 34 KLD 
Waste Water generation : 
(a) Domestic effluent: 5 Kilo ltr/day
(b) Trade effluent: 10 Kilo ltr/day
Date of Commissioning: Aug, 2009
ETP : Proposed 
Test Report (Water) within limit : Yes 
Test Report (Air) w
	Ask the unit to submit Bank Guarantee of Rs. 50,000 each under Air Act and Water Act valid for one year. If unit submits the bank guarantee, consent to operate be granted. Inform to DJB regarding ground water extraction. 
	Consent to Establish applied on 07.08.2009.  Ask the unit to submit Bank Guarantee of Rs. 50,000 each under Air Act and Water Act valid for one year. If unit submits the bank guarantee, consent to operate and consent to establish be granted. Inform to DJB regarding ground water extraction.

	45. 
	35138  
	17-09-2010
	AROMA CHEMICAL AGENCIES (INDIA) PVT. LTD.
	D-91/4, PHASE-I, OKHLA INDUSTRIAL AREA, 
	Okhla Industrial Area
	Orange Operate
	Warehouse and Small Laboratory for testing (In-house only).
	Pending
	 
	21-10-2010 : EARLIER CMC DECISIONS

                      25.01.2010

Issue Consent to Establish. Subsequently, inspection be conducted.

                     27.04.2010 

Inspection done. No action. 

DETAILS OF THE UNIT

CTE :issued valid upto 17.02.2011 with CNO 22943

Water Consumption : 300 L/D

Waste Water generation : 

(a) Domestic effluent: 100 L/D

(b) Trade effluent: 75L/d

Date of Commissioning: jULY 2010

ETP :  Yes

Test Report (Water) within limit :  Yes

Test Report (Air) within limit :  NA

NMR submitted :YES, dt 27.08.2010

G W : nil

ATR/Remark

1. DG Set : 40 KVA.

2. Adequacy of ETP dated Aug 2010 submitted.

3. inspection of the unit was conducted by DPCC officials on 19.04.10
	 Recommended for grant of consent to operate. 
	Inspection be conducted. 

	46. 
	   35141
	17-09-2010
	MATRIX MOLDS AND DIES (KULWANT ENGINEERING WORKS PVT. LTD.)
	E-8, PHASE-II, MAYAPURI INDUSTRIAL AREA
	Mayapuri Industrial Area
	Orange Renewal
	PLASTIC CABNET AND MOULDS
	Pending
	 
	08-12-2010 : Details:

CTE : Not applied 

Water Consumption :0.2 KLD 

Waste Water generation : 

(a) Domestic effluent: 0.1 KLD

(b) Trade effluent: NIL

Date of Commissioning:2007

ETP :  N/A

Test Report (Water) within limit : N/A 

Test Report (Air) within limit :  N/A

NMR submitted :yes, dated 08.09.2010 (D.G. Set of 125 KVA)

GW: nil
	 Ground water nil. Ask the unit to apply for consent to establish. 
	Ask the unit to apply for consent to establish.

	47. 
	 35144
	17-09-2010
	A.P.S. FOOD PVT. LTD.
	28, NWA, MARKET (CLUB ROAD) PUNJABI BAGH
	WEST
	Orange Operate
	SWEET SHOP CUM RESTAURENT
	Pending
	 
	07-12-2010 : ATR/Remarks

CTE : issued valid upto 14.02.2007

Water Consumption : 13.5 KLD

Waste Water generation : 

(a) Domestic effluent: 2.5 KLD

(b) Trade effluent: 11 KLD

Date of Commissioning:2006

ETP :  Yes, adequacy report submitted 

Test Report (Water) within limit :  yes

Test Report (Air) within limit :  N/A

NMR submitted :  Yes, dated 27.08.2010 (D.G. Set of 140 KVA & 125 KVA)

Applied for CTO on 19.03.2007 vide ID no 20874

Letter issued to the unit on 19.06.2009. 

Unit submitted point wise reply on 06.07.2010.
	 Ground water nil. Recommended for grant of consent to operate. 
	Issue consent to operate. 

	48. 
	 35156
	20-09-2010
	ARIHANT WIRES
	458-466, S.N. COMPOUND GALI NO 8, FRIENDS COLONY INDUSTRIAL AREA, G.T. ROAD, SHAHDARA
	Friends Colony Industrial Area
	Orange Renewal
	Copper Wire Drawing.
	Pending
	 
	07-12-2010 : CTE : granted valid upto 07.10.2009.

Water Consumption :220 L/d.

Waste Water generation : 

(a) Domestic effluent: 150 L/D

(b) Trade effluent: Nil.

Date of Commissioning: April 1998.

ETP :  No

Test Report (Water) within limit : NA 

Test Report (Air) within limit :NA  

NMR submitted : NA
	 Ground water nil. Recommended for grant of renewal of consent with the condition to provide hood & suction arrangement followed by a duct raised well above the roof levels (at least 2.0 meter above roof level) to channelize the process emissions within 06 months. Ask the unit to apply for fresh authorization under HWM Rules. 
	Authorization applied on 20.09.2010.  Issue renewal of consent with the condition to provide hood & suction arrangement followed by a duct raised well above the roof levels (at least 2.0 meter above roof level) to channelize the process emissions within 06 months and also issue authorization under HWM Rules.

	49. 
	35160  
	20-09-2010
	MAXIMUS PACKERS
	49, DSIDC PHASE-I, OKHLA INDUSTRIAL AREA 
	Okhla Industrial Area
	Orange Renewal
	Printing
	Pending
	 
	15-10-2010 : DETAILS OF THE CASE

CTE : Not Applied

Water Consumption : 700 l/d

Waste Water generation : 

(a) Domestic effluent: 200 l/d

(b) Trade effluent: 500 l/d

Date of Commissioning: Jan 2002

ETP :  Yes

Test Report (Water) within limit :  Yes

Test Report (Air) within limit :  NA

NMR submitted : Yes, dated 12/05/2010

GW : NIL

ATR/REMARKS

1. D G Set : 100 KVA .

3. Not applied for Hazardious Authorization. Quantity of Hazardous waste 

is 0.5Kg/Day.

4. CTO issued valid upto 15/07/2005.

5. CTR applied on 12/12/2006 with ID No 20162.

6. Fresh Authorization under HWM Rules issued on 13.10.04 with grant no 

1437.

7. Authorization under HWM Rules Renewal applied on 21.9.06 with ID no 

3653.

8. Authorization under HWM Rules Renewal applied on 07.08.08 with ID no 

4624.

9. Adequacy of ETP dated July, 2010 and test report dated 16.07.10 

Submitted
	 Ask the unit to apply for consent to establish and fresh authorization under HWM Rules. 
	Consent to Establish is not required in view of DPCC Board decision. Issue renewal of consent. Ask the unit to apply fresh authorization under HWM Rules. 

	50. 
	35162
	20-09-2010
	AUTO DOCTORS
	A-267, PHASE-I
	OKHLA INDUSTRIAL AREA
	Orange Operate
	Repairing of Cars
	
	
	CTE : not applied 
Water Consumption :  1Kl/d
Waste Water generation : 
(a) Domestic effluent: 0.2 Kl/d
(b) Trade effluent: 0.8Kl/d
Date of Commissioning:  01.05.2010
ETP :  NO
Test Report (Water) within limit : NO  
Test Report (Air) within limit :  NA
NMR submitted : NA
GW : NIL

1. D G Set: nil

The unit has submitted adequacy report, CA certificate, CETP recept, Analysis Report , etc for the different address A-262. As per the record the unit has submitted B G of Rs.50000/- each under Air and Water Act for premises no A-262. and CTE was approved under CMC meeting held on 25.11.2010  which is to be issued 
	Ask the unit to submit the additional Bank Guarantee of Rs. 50,000 each under Air Act and Water Act valid for one year. Ask the unit to clarify its correct address in view of the fact that address is mentioned as A-262 in its adequacy report and test report etc whereas the consent application form and prescribed affidavit mentioned the address as A-267.  
	File be put up administratively.

	51. 
	35164
	20-09-2010
	SHREE SALASAR STEEL
	A-145/1
	 WAZIRPUR INDUSTRIAL AREA
	OPERATE
	Cold Re- Rolling of stainless steel sheet.
	
	
	CTE :  Applied on 17.09.2010 and it was decided in CMC orange on 25.11.2010 to issue CTE.
Water Consumption : 0.02 Kilo ltr/day
Waste Water generation : 
(a) Domestic effluent: 0.01 Kilo ltr/day
(b) Trade effluent: NIL
Date of Commissioning: Sep,2010
ETP
	Ground water nil. Recommended for grant of consent to operate without pickling. 
	Issue consent to operate without pickling.

	52. 
	35169
	20-09-2010
	JAY DEE EXPORTS
	A-35
	GTK ROAD INDUSTRIAL AREA
	RENEWAL
	Mfg. of Readymade garments and washing of cloths & garments.
	
	
	CTO  valid upto 24.07.2005 with C.No.  8612.
CTR applied on 19.07.2005 with Id.No. 15250.

CTE : Obtained
Water Consumption : 15.0 Kilo ltr/day
Waste Water generation : 
(a) Domestic effluent: 3.25 Kilo ltr/day 
(b) Trade effluent: 10 Kilo ltr/day
Date of Commissioning: Jan,2001
ETP :  Installed
Test Report (Water) within limit : Yes 
NMR : Yes
	Ground water nil. Recommended for grant of renewal of consent.
	Issue renewal of consent. 

	53. 
	35170  
	20-09-2010
	DELHI DYEING MILLS
	C-53, PHASE-II, MAYAPURI INDUSTRIAL AREA 
	Mayapuri Industrial Area
	Orange Renewal
	JOB WORK OF DYEING OF GREY CLOTH
	Pending
	 
	07-12-2010 : ATR/REMARKS

CTE : Not applied

Water Consumption : 19280 LPD

Waste Water generation : 

(a) Domestic effluent: 280 LPD

(b) Trade effluent: 9000 LPD

Date of Commissioning:Since 1992

ETP :  yes, adquacy report submitted 

Test Report (Water) within limit :Yes

Test Report (Air) within limit :  Yes, (Oil fired boiler)

NMR submitted : N/A (No D.G. Set)

CTO issued twice valid upto 02.11.2003 & 29.10.2006 respectively.

Applied for CTO_R on 24.01.2007 vide ID no 20519.

Applied for renewal of authorization under HWM Rules on 21.09.2010

One oil fired boiler of 750 KGs capacity using LDO as fuel, SMR submitted 

dated 23.08.2010
	 Ground water nil. Recommended for grant of renewal of consent and authorization under HWM Rules. 
	Inspection be conducted.

	54. 
	 35173  
	21-09-2010
	MINOCHA METALS (P) LTD
	409, FIE, PATPARGANJ INDUSTRIAL AREA 
	Patparganj Industrial Area
	Orange Renewal
	Mfg. Units of Brake Shoes.
	Pending
	 
	07-12-2010 : CTE : No

Water Consumption :250 K L/Day

Waste Water generation : 

(a) Domestic effluent: 200 K L/Day

(b) Trade effluent: nil

Date of Commissioning:2001.

ETP : No.

ECS: Yes, Aug 2010.

Test Report (Water) within limit :NA  

Test Report (Air) within limit :  Yes

NMR submitted : Yes, 06.09.2010.

DG set: 62 KVA.

Apllied for CTR on 12.03.2007.

GW:250 L/Day
	 Ask the unit to apply for consent to establish and submit the stack monitoring report for asbestos fibre from approved laboratory of DPCC. Inform to DJB regarding ground water extraction. 
	Consent to Establish is not required in view of DPCC Board decision. Ask the unit to submit stack monitoring report for asbestos fibre from approved laboratory of DPCC. Inform to DJB regarding ground water extraction.

	55. 
	35175  
	21-09-2010
	KRISHNA ENTERPRISES
	42, FIE PATPARGANJ INDUSTRIAL AREA
	Patparganj Industrial Area
	Orange Operate
	Copper Wire Drawing with annealing and PVC Cable and submersible winding wire.
	Pending
	 
	07-12-2010 : CTE : No

Water Consumption :170 L/Day

Waste Water generation : 

(a) Domestic effluent:  150 L/Day

(b) Trade effluent: Nil.

Date of Commissioning: Jan 2010.

ETP :  NO

Test Report (Water) within limit : NA

Test Report (Air) within limit : NA 

NMR submitted :NA .

DG set: nil
	Ground water nil. Recommended for grant of consent to operate with the condition to provide hood & suction arrangement followed by a duct raised well above the roof levels (at least 2.0 meter above roof level) to channelize the process emissions within 06 months and authorization under HWM Rules after the issuance of consent to establish as decided in CMC dated 25.11.2010.
	Issue consent to operate with the condition to provide hood & suction arrangement followed by a duct raised well above the roof levels (at least 2.0 meter above roof level) to channelize the process emissions within 06 months and authorization under HWM Rules after the issuance of consent to establish as decided in CMC dated 25.11.2010.

	56. 
	35178
	21-09-2010
	CHICKEN PLANET
	8075, BARA HINDU RAO
	NC-N
	Orange

Operate
	Restaurant
	Pending
	
	CTE : Obtained

Water Consumption :1300  L/Day

Waste Water generation : 

(a) Domestic effluent:  500 L/Day

(b) Trade effluent: 300.

Date of Commissioning: Jan 2010.

ETP :  Installed. Adequacy report submitted. 

Test Report (Water) within limit : Yes.

Test Report (Air) within limit : NA 

NMR submitted :NA .

DG set: nil

Seating Capacity : 30 seats. 

Ground Water : Nil
	Recommended for grant of consent to operate.  
	Inspection be conducted in view of the complaint. 

	57. 
	35179
	21-09-2010
	YADU GREENS MOTEL / RESORTS
	KH. NO 52/9,10,11,53/5, 6 AND 42/25, MAIN G.T. ROAD, BAKOLI
	NC-NW
	OPERATE
	Farm house (A Party Lawn)
	
	
	Letter issued on 12.08.2010.
Reply received on 31.08.2010.
CTE applied on 08.05.2009.
B.G to be asked.
MCD licence submitted.

Water Consumption : 6 Kilo ltr/day
Waste Water generation : 
(a) Domestic effluent: 0.5 Kilo ltr/day
(b) Trade effluent: 5 Kilo ltr/day
Date of Commissioning: 2008
ETP : Proposed  
Test Report (Water) within limit : Yes 
Test Report 

Ground Water : 6 KLD
	Ask the unit not to hire or run any D.G. Set which is not acoustically treated and submit an affidavit in this regard and also noise monitoring report of all D.G. Sets owned by it from approved laboratory of DPCC. Ask the unit to submit Bank Guarantee of Rs. 50,000 each under Air Act and Water Act valid for one year.  Inform to DJB regarding ground water extraction. 
	Ask the unit not to hire or run any D.G. Set which is not acoustically treated and submit an affidavit in this regard and also noise monitoring report of all D.G. Sets owned by it from approved laboratory of DPCC. Ask the unit to submit Bank Guarantee of Rs. 50,000 each under Air Act and Water Act valid for one year.  If unit submits the Bank Guarantee, consent to establish be issued. Also ask the unit to clarify the low water consumption / discharge figures indicated in consent to establish application in view of facilities of rooms existing in the farm house and to submit the information about the sewage generation and treatment / disposal facilities existing / proposed along with the water mass balance chart. Inform to DJB regarding ground water extraction.



	58. 
	35180  
	21-09-2010
	SHALIMAR MOTORS
	C-91/9, WAZIRPUR INDUSTRIAL AREA 
	Wazirpur Industrial Area
	Orange Renewal
	REPAIR AND SERVICING OF CARS LIGHT VEHICLES.
	Pending
	 
	08-12-2010 : CTE : Not Applied

Water Consumption : 3.2 Kilo ltr/day

Waste Water generation : 

(a) Domestic effluent: 0.2 Kilo ltr/day

(b) Trade effluent: 3.0 Kilo ltr/day

Date of Commissioning: 1990

ETP : Yes

Test Report (Water) within limit :  Yes

Test Report (Air) within limit :N/A 

NMR submitted : N/A

Ground water- 3000 ltr/day

CTO issued on 07.05.2008.
	Recommended for grant of renewal of consent and authorization under HWM Rules. Inform to DJB regarding ground water extraction. 
	Issue renewal of consent and authorization under HWM Rules. Inform to DJB regarding ground water extraction.

	59. 
	35181
	21-09-2010
	MARC ENTERPRISES PVT LTD.
	S-100, PHASE-I
	BADLI INDUSTRIAL ESTATE
	RENEWAL
	Mfg. of Electrical  Appliances
	
	
	CTO granted on 17.09.2004 and valid upto 06.04.2007.
CTR applied on 25.05.2007.

CTE : Not Applied
Water Consumption : 1.2 Kilo ltr/day
Waste Water generation : 
(a) Domestic effluent: 0.1 kilo ltr/day 
(b) Trade effluent: 1.0 Kilo ltr/day 
Date of Commissioning: 1994
ETP : Installed
Test Report (Water) within limit : Yes
Test Report 

Ground water : 1200 LTD
	Ask the unit to apply for consent to establish. Inform to DJB regarding ground water extraction. 
	Consent to Establish is not required in view of DPCC Board decision. Authorization applied on  21.09.2010. Issue renewal of consent and authorization under HWM Rules. Inform to DJB regarding ground water extraction.

	60. 
	35186  
	24-09-2010
	SIGMA ROLLERS PVT. LTD
	B-14, (BASEMENT, GROUND FLOOR & 1ST FLOOR) SECTOR-4, BAWANA INDUSTRIAL AREA
	Bawana Industrial Area
	Orange Operate
	Manufacturing of Offset Printing Roller (Without Trade Effluent Discharge)
	Pending
	 
	08-12-2010 : CTE :YES valid from30.08.2010 to 29.08.2011

Water Consumption :400 LPD(ground water)

Waste Water generation : 

(a) Domestic effluent: 150 LPD

(b) Trade effluent: NIL

Date of Commissioning: OCT 2009

ETP :  NA

Test Report (Water) within limit : NA 

Test Report (Air) within limit :  Yes

NMR submitted : NA
	 Ground water “400 LPD. Recommended for grant of consent to operate. Inform to DJB regarding ground water extraction.  
	Issue consent to operate. Inform to DJB regarding ground water extraction.  

	61. 
	35188
	24-09-2010
	VALENTINE HOTEL & RESORTS PVT. LTD.
	KH NO 40/15, MIN (1-07) MIN (1-19),17 MIN(2-04),18 MIN (0-12),40/13 MIN(0-13),14),41/11(2-06)20(017),40/15 MIN(1-01), 40/13 MIN (1-00),14 (2-19),15 MIN (2-08) VILL -NANGLI POONA, MAIN G.T. KARNAL ROAD
	NC-NW
	OPERATE
	Hotel and resort for 13 rooms
	
	
	MCD  sanction plan submitted , MCD reciept submitted. 
Closure direction revoked on 28.07.2010 after receipt of BG of Rs 1 lakh each under air and water act.

CTE :valid upto 17.10.2011
Water Consumption :34KLD
Waste Water generation : 
(a) Domestic effluent: 5KLD
(b) Trade effluent: 10 KLD
Date of Commissioning: oct 2006
ETP :  Yes(STP)
Test Report (Water) within limit : Yes 
Test Report (Air) within limit : N/

Ground water : 34 KLD.
	Recommended for grant of consent to operate. Inform to DJB regarding ground water extraction. 
	Issue consent to operate. Inform to DJB regarding ground water extraction.  

	62. 
	35197
	24-09-2010
	KATYAL GARDEN
	KH. NO 46/1, 46/2 & 46/3, VILLAGE BAKOLI, BHAKTAWAR PUR ROAD
	NC-NW
	OPERATE
	Farm house (A party Lawn)
	
	
	Court case has been already disposed off.
As per approval on file 21.05.2010, after receipt of BG , closure direction revoked on 31.05.2010.
MCD permission dated 10.06.2010 submitted.
BG of rupees 1 Lakh each under AIR and Water act submitted. 

CTE : Pending(33544) 15.04.2010
Water Consumption :3.5 kl/day
Waste Water generation : 
(a) Domestic effluent: 200l/day
(b) Trade effluent: 3000l/day
Date of Commissioning:2009
ETP :  installed
Test Report (Water) within limit :  Yes
Test Report (Air) wit

Ground water : 3.5 KLD.
	Recommended for grant of consent to operate and consent to establish. Inform to DJB regarding ground water extraction.
	Issue consent to operate and consent to establish. Inform to DJB regarding ground water extraction.

	63. 
	35200
	24-09-2010
	MEGA SWITCHGEAR
	PLOT NO H-50, UDYOG NAGAR INDUSTRIAL AREA, ROHTAK ROAD 
	Udyog Nagar Industrial area
	Orange Operate
	mfg of electrical goods, electrical swithgear and controls and accessories mcb change over, distrubution boxes, bus bar chamber etc
	Pending
	 
	07-12-2010 : ATR/Remarks

CTE :issued valid upto 06.09.2011 vide consent order no 25426.

Water Consumption :0.3 KLD 

Waste Water generation : 

(a) Domestic effluent: 0.25 KLD

(b) Trade effluent: NIL 

Date of Commissioning:August, 2010

ETP :  N/A

Test Report (Water) within limit :  N/A

Test Report (Air) within limit :  N/A

NMR submitted : (No D.G. Set)
	Ground water nil. Recommended for grant of consent to operate. 
	Issue consent to operate. 

	64. 
	35202
	27-09-2010
	AAY KAY LIGHTS (INDIA)
	J-269, POCKET-N, SECTOR-3, DSIDC
	BAWANA INDUSTRIAL AREA
	OPERATE
	Electric Bulbs
	
	
	 CTE : REFUSED ON  07-03-2006
Water Consumption : 300 lpd
Waste Water generation : 
(a) Domestic effluent:50 lpd 
(b) Trade effluent: NIL
Date of Commissioning: 2006
ETP :  NA
Test Report (Water) within limit : Nil  
Test Report (Air) within limit : Nil  
NMR submitted : Nil
	File be put up administratively.  
	Inspection be conducted and file put up administratively. 

	65. 
	35204  
	27-09-2010
	THE DAFFODILS HOTEL (A UNIT OF T.G. LEISURE & RESORTS PVT. LT.)
	TANYA FARM COMPLEX SATBARI CHATTARPUR TEMPLE ROAD, CHATTARPUR
	SOUTH
	Orange Operate
	HOTEL.
	Pending
	 
	06-12-2010 : DETAILS OF THE CASE

CTE : applied on 07.04.08 vide ID no 25426

Water Consumption : 700 L/D

Waste Water generation : 

(a) Domestic effluent: 200 l/d

(b) Trade effluent: 400 Lt/d

Date of Commissioning: April 2006

ETP :  Yes

Test Report (Water) within limit :  Yes

Test Report (Air) within limit :  NA

NMR submitted : yES, dated 07.09.10 

gw : 1000 l/d

ATR/REMARKS

1. D G Set : 180 and 125 KVA.

2. Adquacy Report june 2008 and Test report dated 30.08.10 submitted

3. A publi complaint dated 09.03.07 was received and as decided, Unit 

submitted B.G of Rs.50000 each under Air Act and Water Act in response to 

this office letter dated 19.08.10
	Recommended for grant of consent to establish. Ask the unit to take rectification measures and submit fresh effluent analysis report to substantiate the  compliance of standards as per new notification.. Inform to DJB regarding ground water extraction. 


	Consent to Establish already issued and effluent analysis  report consist the requisite parameters. Issue consent to operate. Inform to DJB regarding ground water extraction. 



	66. 
	35209   
	27-09-2010
	AMAR SOGANDH PRODUCTS
	B-103/2, PHASE-I, NARAINA INDUSTRIAL AREA PHASE - I 
	Naraina Industrial Area Phase - I
	Orange Renewal
	MFG SWEET PAN MASALA
	Pending
	 
	07-12-2010 : Details:

CTE : Not applied

Water Consumption :100 LPD

Waste Water generation : 

(a) Domestic effluent: 80 LPD

(b) Trade effluent: NIL 

Date of Commissioning:1996

ETP :  N/A

Test Report (Water) within limit :  N/A

Test Report (Air) within limit :  N/A

NMR submitted : Yes, dated (D.G. Set of 75 KVA)

GW: NIL

ATR/Remarks:

Earlier CTO_R issued valid upto 08.10.2006 vide consent order no, 8632.

Apllied for CTO_R on 09.01.2007 vide ID no 20411.
	Recommended for grant of renewal of consent. 
	Inspection be conducted for requirement of ECS. 

	67. 
	35211  
	27-09-2010
	SHIVALIK SERVICE CENTRE
	SECTOR-2, PH-1, DWARKA
	SOUTH WEST
	Orange Operate
	washing and service station
	Pending
	 
	08-12-2010 : ATR/Remarks

CTE : Applied on 18.08.2010 vide ID no. 34890

Water Consumption : 1000 LPD

Waste Water generation : 

(a) Domestic effluent: 175 LPD

(b) Trade effluent: 750 LPD

Date of Commissioning: Aug, 2010

ETP :  Yes, Adequacy report submitted dated 30.06.2010

Test Report (Water) within limit :  yes

Test Report (Air) within limit :  N/A

NMR submitted : N/A

GW: 1000 LPD
	Inspection be conducted as decided in CTE application by CMC dated 25.11.2010. Ask the unit to submit authorization under HWM Rules. 
	Inspection be conducted as decided in CTE application by CMC dated 25.11.2010. Ask the unit to submit authorization under HWM Rules.

	68. 
	35214  
	27-09-2010
	NEW VIVEK ENTERPRISES
	B-15, DSIDC INDUSTRIAL COMPLEX, ROHTAK ROAD, DSIDC, NANGLOI INDUSTRIAL AREA
	Nangloi Industrial Area
	Orange Renewal
	MFG OF COATED COTTON FABRICS (PVC REXINE CLOTH)
	Pending
	 
	07-12-2010 : Details: 

CTE : Not applied

Water Consumption : 1000 LPD

Waste Water generation : 

(a) Domestic effluent: 350 LPD

(b) Trade effluent: NIL

Date of Commissioning:1992

ETP :  N/A

Test Report (Water) within limit : N/A

Test Report (Air) within limit : Yes (thermic fluid heater)

NMR submitted : Yes dated 10.09.2010 (D.G. Set of 125 KVA)

GW : 1000 LPD

ATR/Remarks:

Earlier CTO issued valid upto 28.01.2004.

CTO_R issued valid upto 27.09.2007 vide consent order no 11944.

Applied for CTO_R on 25.09.2007 vide ID no 23632.
	Recommended for grant of renewal of consent with the condition to provide hood & suction arrangement followed by a duct raised well above the roof levels (at least 2.0 meter above roof level) to channelize the process emissions within 06 months. Inform to DJB regarding ground water extraction. 
	Inspection be conducted. 

	69. 
	35215  
	15-10-2010
	SHREE RAJ ROTO INDIA LTD
	G-6, DSIDC INDUSTRIAL COMPLEX, ROHTAK ROAD, NANGLOI DSIDC INDUSTRIAL AREA
	Nangloi Industrial Area
	Orange Operate
	MFG OF DESIGN ROLLS
	Pending
	 
	08-12-2010 : Details:

CTE :issued twice valid upto 16.03.2006 &17.11.2010 respectively.

Water Consumption :600 LPD

Waste Water generation : 

(a) Domestic effluent: 240 LPD

(b) Trade effluent: 300 LPD

Date of Commissioning:2005

ETP :  Yes, adequacy report submitted 

Test Report (Water) within limit :  yes 

Test Report (Air) within limit :  

NMR submitted : proposed (D.G. Set of 250 KVA)

GW: 300 LPD

ATR/Remarks:

unit applied for fresh authorization under HWM Rules on 27.09.2010 vide 

ID no. 0423.
	Ask the unit to submit Bank Guarantee of Rs. 50,000 each under Air Act, Water Act and HWM Rules valid for one year. If unit submits the Bank Guarantee, consent to operate, consent to establish and authorization will be issued. Inform to DJB regarding ground water extraction.  
	Ask the unit to submit Bank Guarantee of Rs. 50,000 each under Air Act, Water Act and HWM Rules valid for one year. If unit submits the Bank Guarantee, consent to operate, consent to establish and authorization will be issued. Inform to DJB regarding ground water extraction.  

	70. 
	 35216
	27-09-2010
	SIDDHARTH OPTICAL DISC PVT. LTD.
	F-133, PHASE II, MAYAPURI INDUSTRIAL AREA 
	Mayapuri Industrial Area
	Orange Operate
	MFG OF RECORDED COMPACT DISC ie CD AND DVD
	Pending
	 
	07-12-2010 : Details:

CTE :issued valid upto 07.10.2010

Water Consumption :500 LPD

Waste Water generation : 

(a) Domestic effluent: 350 LPD

(b) Trade effluent: NIL 

Date of Commissioning:2007

ETP :  N/A

Test Report (Water) within limit :  N/A

Test Report (Air) within limit :  N/A

NMR submitted : Yes dated (D.G. set of 250 KVA)

GW: 500LPD

ATR/Remarks:

Applied for fresh authorization under HWM Rules on 27.19.2010 vide ID no 

0422.
	 Recommended for grant of consent to operate and authorization under HWM Rules. Inform to DJB regarding ground water extraction.  
	Issue consent to operate and authorization under HWM Rules. Inform to DJB regarding ground water extraction.

	71. 
	35225   
	27-09-2010
	SANJAY PRINTERS AND PUBLISHERS PRIVATE LTD.
	PLOT NO.180, FIE, PATPARGANJ INDUSTRIAL AREA 
	Patparganj Industrial Area
	Orange Renewal
	Printing and book Binding.
	Pending
	 
	07-12-2010 : CTE : Yes, granted on 15.06.2010. & valid upto 14.06.2011.

Water Consumption :100 L/Day

Waste Water generation : 

(a) Domestic effluent: 50 L/Day

(b) Trade effluent: Nil

Date of Commissioning:2000.

ETP :  No

Test Report (Water) within limit : NA

Test Report (Air) within limit : NA 

NMR submitted : Yes (27.09.2010)

D.G.Set:125 KVA.

CMC DECISION :07.05.2010:

Issue CTE, apply for authorization under HWM rule.
	Ground water nil. Recommended for grant of renewal of consent authorization under HWM Rules. 
	Issue renewal of consent authorization under HWM Rules

	72. 
	35230
	27-09-2010
	CLOUD'S GARDEN
	PLOT NO 139 TO 144, VILLAGE BUDHPUR, MAIN G.T.K. ROAD
	NC-NW
	OPERATE
	Farm house (A party Lawn)
	
	
	MCD permission dated 12.02.2010 submitted.BG of rupess 1 Lakh each under AIR and Water act submitted. CTE issued.
Inspection conducted on 29.10.2010. Based on deficiencies, SCN for refusal, u/s 33(A) and 31(A) to the unit and SCN to GGSIPU for wrong adequacy.

CTE : Valid upto 21.07.2011
Water Consumption : 3.5 Kilo ltr/day
Waste Water generation : 
(a) Domestic effluent: 0.2 Kilo ltr/day
(b) Trade effluent: 3.0 Kilo ltr/day
Date of Commissioning: 2009
ETP : Installed
Test Report (Water) within limit :  Yes

	Implement the decision taken on file. 
	Ask the unit to submit its reply on an affidavit. 

	73. 
	35233
	27-09-2010
	RG'S HOUSE
	150/1, VILLAGE BUDHPUR, MAIN G.T.K. ROAD
	NC-NW
	OPERATE
	Farm house (A party Lawn)
	
	
	B.G of 1 lakh Rs. submitted on  28.09.2010 valid upto 18.06.2011.
Letter issued on 10.07.2010 subsequently CTE granted.
Reply received on 26.04.2010.

CTE : Valid upto 17.06.2011
Water Consumption : 3.5 Kilo ltr/day
Waste Water generation : 
(a) Domestic effluent: 0.2 Kilo ltr/day
(b) Trade effluent: 3.0 Kilo ltr/day
Date of Commissioning: May, 2009
ETP : Yes
Test Report (Water) within limit :  Yes  
	Recommended for grant of consent to operate. Inform to DJB regarding ground water extraction. 
	Issue consent to operate. Inform to DJB regarding ground water extraction.

	74. 
	35234
	27-09-2010
	ABDUL SATTAR
	B-71, IIND FLOOR
	WAZIRPUR INDUSTRIAL AREA
	OPERATE
	 

Copper wire drawing


	
	25.11.2010 
Issue Consent to Establish.


	CTE : Applied on 01.09.2010 and it was decided in CMC orange on 25.11.2010 to issue CTE.
Water Consumption : 0.02 Kilo ltr/day
Waste Water generation : 
(a) Domestic effluent: NIL
(b) Trade effluent: NIL
Date of Commissioning: Oct,2010
ETP :  N/A
Test Report (Water) within limit : N/A 
Test Report (Air) within limit :  N/A
NMR submitted : N/A


	Ask the unit to apply for authorization under HWM Rules. 
	 Ask the unit to apply for authorization under HWM Rules. Also ask the unit to provide hood & suction arrangement followed by a duct raised well above the roof levels (at least 2.0 meter above roof level) to channelize the process emissions  and submit a compliance report on an affidavit. 

	75. 
	35236
	28-09-2010
	ANITA DIARIES
	A-85
	NARAINA INDUSTRIAL AREA PH-I
	RENEWAL
	Printing & binding of diaries & calenders
	
	
	CTO_R  Refused on 16.09.2005 & refused no. 882.
CTO_R Issued valid upto 12.10.2010 vide consent order no. 15799 under Green category.
CTO Issued valid upto 28.02.2005 vide cosent no 425.

CTE : Not applied
Water Consumption :0.4 KLD
Waste Water generation : 
(a) Domestic effluent:0.2 KLD 
(b) Trade effluent: NIL
Date of Commissioning: 1999
ETP :  N/A
Test Report (Water) within limit : N/A 
Test Report (Air) within limit :  N/A
NMR submitted : N/A
	Ground water nil. Recommended for grant of renewal of consent. Ask the unit to apply for fresh authorization under HWM Rules. 
	Issue renewal of consent. Ask the unit to apply for fresh authorization under HWM Rules.

	76. 
	35238  
	28-09-2010
	SARC PRINT LINE
	308/6F, SHAHZADA BAGH INDUSTRIAL AREA 
	Shahzada Bagh Industrial Area
	Orange Renewal
	Offset Printing (Without Trade Effluent Discharge)
	Pending
	 
	08-12-2010 : CTE : PENDING

Water Consumption : 20 LPD

Waste Water generation : 

(a) Domestic effluent: NIL 

(b) Trade effluent: NIL

Date of Commissioning: 2004

ETP :  NA

Test Report (Water) within limit : NA 

Test Report (Air) within limit :NA  

NMR submitted : NA

Authorization under HWM granted  on 3-8-2004

Authorization for HWM applied on 7-7-2006.

CTE Issued under Green Category on 1-7-2004 valid from 15-6-2004 to 14-

6-2005

CTO issued under Green Category on 27-7-2006 valid from 03-10-2005 to 

2-10-2010.

CTE under Orange Category applied on 28-9-2010

CTR under Orange category applied on 28-9-2010
	 Ground water nil. Recommended for grant of renewal of consent and authorization under HWM Rules. 
	Issue renewal of consent and authorization under HWM Rules.

	77. 
	35253  
	29-09-2010
	INTEL CABLE INDUSTRIES (OPTICAL DIVISION)
	PLOT NO.-241, POCKET-M, SECTOR-5, DSIDC BAWANA INDUSTRIAL AREA
	Bawana Industrial Area
	Orange Operate
	Manufacturing of Fiber Optic Cable Assemblies and other cable assemblies.
	Pending
	 
	08-12-2010 : CTE :Yes valid from 15.04.2010 to 14.04.2011

Water Consumption :1000 LPD

Waste Water generation : 

(a) Domestic effluent: 600 LPD

(b) Trade effluent: NIL

Date of Commissioning: 2010

ETP :  NA

Test Report (Water) within limit :NA  

Test Report (Air) within limit :  NA

NMR submitted : NA
	 Ground water 1600 LPD. Recommended for grant of consent to operate. Inform to DJB regarding ground water extraction. 
	Issue consent to operate. Inform to DJB regarding ground water extraction.

	78. 
	35254  
	29-09-2010
	SINGAL TRADING CORPORATION
	F-125, SECTOR-5, DSIDC, BAWANA INDUSTRIAL AREA 
	Bawana Industrial Area
	Orange Operate
	Mfg. of Pet Ferform Bottles and Plastic Products.
	Pending
	 
	08-12-2010 : CTE :YES  valid from29.10.2009 to 28.10.2010

Water Consumption :250 LPD(APPROX)

Waste Water generation : 

(a) Domestic effluent: 200 LPD

(b) Trade effluent: NIL

Date of Commissioning: NOV 2009

ETP :  NA

Test Report (Water) within limit :NA  

Test Report (Air) within limit :  NA

NMR submitted : NA
	 Ground water nil. Recommended for grant of consent to operate with the condition to provide hood & suction arrangement followed by a duct raised well above the roof levels (at least 2.0 meter above roof level) to channelize the process emissions within 06 months.
	Issue consent to operate with the condition to provide hood & suction arrangement followed by a duct raised well above the roof levels (at least 2.0 meter above roof level) to channelize the process emissions within 06 months.

	79. 
	35257  
	29-09-2010
	STARLINE INDUSTRIES
	1/342/G, GALI NO 1, FRIENDS COLONY INDUSTRIAL AREA
	Friends Colony Industrial Area
	Orange Operate
	Mfg. of PVC Wire and Cables.
	Pending
	 
	07-12-2010 : CTE :Applied for CTE on 04.05.2009.

Water Consumption :170 L/D

Waste Water generation : 

(a) Domestic effluent: 50 L/D

(b) Trade effluent: Nil

Date of Commissioning:Jan 2009.

ETP :   NA

Test Report (Water) within limit :   NA

Test Report (Air) within limit :   NA

NMR submitted :  NA
	 Ground water nil. Recommended for grant of consent to operate with the condition to provide hood & suction arrangement followed by a duct raised well above the roof levels (at least 2.0 meter above roof level) to channelize the process emissions within 06 months.
	Issue consent to operate with the condition to provide hood & suction arrangement followed by a duct raised well above the roof levels (at least 2.0 meter above roof level) to channelize the process emissions within 06 months.

	80. 
	35260  
	30-09-2010
	INDIA OFFSET PRESS
	A-1, PHASE I, MAYAPURI INDUSTRIAL AREA 
	Mayapuri Industrial Area
	Orange Renewal
	PRINTING
	Pending
	 
	08-12-2010 : Details:

CTE : issued valid upto 23.08.2011.

Water Consumption :0.08 KLD

Waste Water generation : 

(a) Domestic effluent: 0.05 KLD 

(b) Trade effluent: NIL 

Date of Commissioning:1949

ETP :  N/A

Test Report (Water) within limit : N/A 

Test Report (Air) within limit : N/A 

NMR submitted : N/A (No D.G. set)

GW: 500 LPD

ATR/Remarks:

Earlier CTO issued valid upto 30.05.2007 under Green category for the 

activity offset printing (without trade effluent discharge)
	 Recommended for grant of renewal of consent. Ask the unit to apply for fresh authorization under HWM Rules. Inform to DJB regarding ground water extraction. 
	Issue renewal of consent. Ask the unit to apply for fresh authorization under HWM Rules. Inform to DJB regarding ground water extraction.

	81. 
	35261  
	30-09-2010
	DURGA FLOUR MILLS
	PLOT NO 66-67 POCKET B SECTOR-4 DSIDC BAWANA INDUSTRIAL AREA
	Bawana Industrial Area
	Orange Operate
	Flour Mill.
	Pending
	 
	08-12-2010 : CTE :No

CTE valid from 9.04.2010 to 8.04.2011

CTO Applied on 30.09.2010

Water Consumption :100 LPD

Waste Water generation : 

(a) Domestic effluent: 80 LPD

(b) Trade effluent: NIL

Date of Commissioning: May-2010

ETP :  NA

Test Report (Water) within limit :NA  

Test Report (Air) within limit :  Yes

NMR submitted : NA
	Ground water nil. Recommended for grant of consent to operate. 
	Issue consent to operate. 

	82. 
	35262
	30-09-2010
	PASHUPATINATH RESORTS PVT. LTD. "TIVOLI GRAND MOTELS"
	VILLAGE JINDPUR, MAIN G.T. KARNAL ROAD
	NC-NW
	OPERATE
	 

Motel for 28 rooms


	
	06.09.2010
Issue CTE subject to submission of BG of rs 1 lakh each under air and water act.


	CTE :valid uptp 23.11.2011
Water Consumption :65000LPD
Waste Water generation : 
(a) Domestic effluent: 8000LPD
(b) Trade effluent: 20000LPD
Date of Commissioning :july 2009
ETP :  yes
Test Report (Water) within limit : Yes 
Test Report (Air) within limit :  Yes
NMR submitted : Yes

Ground Water : 65 KLD
	Recommended for grant of consent to operate. Inform to DJB regarding ground water extraction. 
	Issue consent to operate. Inform to DJB regarding ground water extraction.

	83. 
	35265 
	30-09-2010
	AUTO SHINE INDUSTRIES
	PLOT NO A-9, DSIDC SHADHARA, JHILMIL INDUSTRIAL AREA 
	Jhilmil Industrial Area
	Orange Operate
	Manufacturing of Auto Parts (Without Rubber)
	Pending
	 
	07-12-2010 : CTE :granted valid upto 13.10.2010

Water Consumption :100 L/D

Waste Water generation : 

(a) Domestic effluent: 80 L/D (as per application)

(b) Trade effluent: Nil

Date of Commissioning: October 2010.

ETP :   NA

Test Report (Water) within limit :   NA

Test Report (Air) within limit :  NA 

NMR submitted :  NA(DG set: Nil)
	Ground water nil. Recommended for grant of consent to operate. 
	Issue consent to operate with the condition to provide hood & suction arrangement followed by a duct raised well above the roof levels (at least 2.0 meter above roof level) to channelize the process emissions within 06 months.
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	1
	35402  
	18-10-2010
	S.K. ENTERPRISES
	K-30, SECTOR-3, DSIDC BAWANA INDUSTRIAL AREA
	Bawana Industrial Area
	Orange Establish
	Re Packing of Gambier Extracts (Katta)
	 
	03-12-2010 : Water Consumption :120 lpd Waste Water generation : (a) Domestic effluent: 70 lpd (b) Trade effluent: NIL Date of Commissioning:Nov. 2009 ETP : NA D.G.Set : NIL earlier CMC decision 11-10-2010 Consent to operate refused w.r.t. M/s Aspee Dyechem Industries. File be put up administratively w.r.t. SCN u/s 21/22 of the Air Act and u/s 25/26 of the Water Act issued to M/s S.K.Enterprises.
	Recommended for grant of consent to establish.
	Issue consent to establish.

	2
	35403  
	18-10-2010
	GUPTA LAMINATION
	PLOT NO.-76, POCKET-E, SECTOR-4, DSIDC BAWANA INDUSTRIAL AREA
	Bawana Industrial Area
	Orange Establish
	Wire Drawing Coating and Electric Cable.
	 
	03-12-2010 : Water Consumption : 200 lpd Waste Water generation : (a) Domestic effluent: 150 lpd (b) Trade effluent: Nil Date of Commissioning: nov. 2010 ETP : NA D.G.Set : Nil
	Recommended for grant of consent to establish.
	Issue consent to establish.

	3
	35405  
	18-10-2010
	VRINDAVAN GENERATOR
	PLOT NO.-109, POCKET-G, SECTOR-5, DSIDC BAWANA INDUSTRIAL AREA
	Bawana Industrial Area
	Orange Establish
	Wire Drawing Coating and Electric Cable.
	 
	07-12-2010 : Water Consumption :200 lpd Waste Water generation : (a) Domestic effluent: 150 lpd (b) Trade effluent: Nil Date of Commissioning: Nov. 2010 ETP : NA D.G.Set : Nil
	Recommended for grant of consent to establish.
	Issue consent to establish.

	4
	35406  
	18-10-2010
	ADSR SEALS (INDIA)
	PLOT NO.-147, SECTOR-5, POCKET-F, DSIDC BAWANA INDUSTRIAL AREA
	Bawana Industrial Area
	Orange Establish
	PVC Compoud and Moulded Goods.
	 
	07-12-2010 : Water Consumption : 200 lpd Waste Water generation : (a) Domestic effluent: 150 lpd (b) Trade effluent: Nil Date of Commissioning: Nov. 2010 ETP : NA D.G.Set : Nil
	Recommended for grant of consent to establish.
	Issue consent to establish.

	5
	35408  
	18-10-2010
	ATUL ENTERPRISES
	L-18, SECTOR-5, DSIDC BAWANA INDUSTRIAL AREA
	Bawana Industrial Area
	Orange Establish
	Mfg. of Plastic products.
	 
	07-12-2010 : Water Consumption : 250 lpd Waste Water generation : (a) Domestic effluent: 200lpd (b) Trade effluent: Nil Date of Commissioning: 15th Nov. 2010 ETP : NA D.G.Set : Nil
	Recommended for grant of consent to establish.
	Issue consent to establish.

	6
	35409  
	18-10-2010
	VICTOR ELECTRODES LTD
	T-1-114,PHASE -I , MANGOLPURI INDUSTRIAL AREA
	Mangolpuri Industrial Area
	Orange Establish
	MFG. OF ARC WELDING ELECTRODES.
	 
	21-12-2010 : CMC decision: As per the decision taken by CMC (Green) on 07.10.2010, file be ractified regarding closure directions and refusal of consent. Unit asked to apply in Orange category. ATR: Unit has submited bank guarantee of 1 lakh each under Air act, Water act & HWM rule. revocation of the closure direction was issued on 25.11.2010. Water Consumption : 900 ltr/day Waste Water generation : (a) Domestic effluent: 200 ltr/day (b) Trade effluent: 400 ltr/day Date of Commissioning: 15.11.2010 ETP : Yes D.G.Set : 2x62.5 KVA
	Recommended for grant of consent to establish.
	Issue consent to establish.

	7
	35412  
	18-10-2010
	KRISHNA METAL INDUSTRIES
	B-43, GROUP WAZIRPUR INDUSTRIAL AREA
	Wazirpur Industrial Area
	Orange Establish
	COLD RE ROLLING OF S.S. PATTA (WITHOUT PICKLING).
	 
	21-12-2010 : CMC decision: 05.08.2010 ask the unit to submit fresh affidavit in perscribed format of consent application ATR: Water Consumption : 0.05 kilo ltr/day Waste Water generation : (a) Domestic effluent:0.02 kilo ltr/day (b) Trade effluent: NIL Date of Commissioning: 2000 ETP : N/A D.G.Set : NIL letter issued on 01.09.2010
	Recommended for grant of consent to establish.
	Issue consent to establish.

	8
	35414  
	18-10-2010
	SHREE RAM WORKS
	B-47/4, GROUP, IIIRD FLOOR, WAZIRPUR INDUSTRIAL AREA
	Wazirpur Industrial Area
	Orange Establish
	MFG. OF STAINLESS STEEL UTENSILS (WITH BUFFING).
	 
	21-12-2010 : ATR: Water Consumption : 0.2 Kilo ltr/day Waste Water generation : (a) Domestic effluent: 0.1 Kilo ltr/day (b) Trade effluent: NIL Date of Commissioning: October, 2010 ETP : N/A D.G.Set : NIL
	Recommended for grant of consent to establish. Subsequently, inspection be conducted.
	Issue consent to establish. Subsequently, inspection be conducted.

	9
	35415  
	18-10-2010
	369 BANQUETS AND LOUNGE
	33/33A, RAMA RAOD NAJAF GARH INDL AREA
	Najafgarh Road Industrial Area
	Orange Establish
	BANQUET
	 
	07-12-2010 : ATR/Remarks Water Consumption :3.0 KLD Waste Water generation : (a) Domestic effluent: 0.1 KLD (b) Trade effluent: 2.0 KLD Date of Commissioning: Jan, 2010 ETP : NO D.G.Set : NIL
	Recommended for grant of consent to establish. Subsequently, inspection be conducted.
	Issue consent to establish. Subsequently, inspection be conducted.

	10
	35423  
	19-10-2010
	GUPTA INDUSTRIES
	PLOT NO 3208, SECTOR-J, DSIDC, NARELA INDUSTRIAL AREA
	Narela Industrial Area
	Orange Establish
	MFG. OF PVC COMPOUND AND PLASTIC PRODUCTS BY MOULDING MACHINE.
	 
	21-12-2010 : ATR: Water Consumption : 20 ltr/day Waste Water generation : (a) Domestic effluent: 50 ltr/day (b) Trade effluent: NIL Date of Commissioning: Cecember, 2010 ETP : N/A D.G.Set : NIL
	Recommended for grant of consent to establish.
	Issue consent to establish.

	11
	35424  
	19-10-2010
	ASHOKA HOSIERY
	PLOT NO.-121, POCKET-D, SECTOR-5, DSIDC BAWANA INDUSTRIAL AREA
	Bawana Industrial Area
	Orange Establish
	Mfg. of PVC Compound and plastic products by moulding m/c
	 
	07-12-2010 : Water Consumption :120 lpd Waste Water generation : (a) Domestic effluent: 50 lpd (b) Trade effluent: Nil Date of Commissioning:Dec. 2010 ETP : NA D.G.Set : Nil
	Recommended for grant of consent to establish.
	Issue consent to establish.

	12
	35425  
	19-10-2010
	WORLD CLASS AUTOMOBILES PTV LTD
	68/3 NAJAFGARH ROAD INUSTRIAL AREA DELHI 15
	Najafgarh Road Industrial Area
	Orange Establish
	SERVICING AND WASHING OF VEHICLES
	 
	07-12-2010 : Earlier CMC Decision Decision on 26.07.2010 Inspection be conducted ATR/Remarks Inspection conducted on 16.09.2010. Applied for fresh authorization under HWM Rules on 05.04.2010. Earlier CTE issued valid upto 06.06.2011 vide consent order no. 24083 by the name of SRI DURGA AUTOMOBILE at the same adderss. Applied for CTO on 05.04.2010 vide ID no. 33408. Water Consumption : 8.5 KLD Waste Water generation : (a) Domestic effluent: 0.450 KLD (b) Trade effluent: 7.500 KLD Date of Commissioning: Feb, 2009 ETP : NO D.G.Set : 180 KVA ( NMR is not submitted)
	Implement the earlier CMC(Orange) decision dated 25.11.2010.
	Decision implemented. No action. 

	13
	35427  
	19-10-2010
	R.P. ENTERPRISES
	PLOT NO.40, POCKET-G, SECTOR-1, DSIDC BAWANA INDUSTRIAL AREA
	Bawana Industrial Area
	Orange Establish
	Mfg. of PVC Products.
	 
	07-12-2010 : Water Consumption : 100 lpd Waste Water generation : (a) Domestic effluent: 80 lpd (b) Trade effluent: Nil Date of Commissioning:Feb 2011 ETP : NA D.G.Set : Nil
	Recommended for grant of consent to establish.
	Issue consent to establish.

	14
	35434  
	20-10-2010
	ES VEE FOOTWEAR INDUSTRIES
	A-36, NARAINA INDUSTRIAL AREA PHASE - I
	Naraina Industrial Area Phase - I
	Orange Establish
	PVC Footwear
	 
	07-12-2010 : Earlier CMC Decision Decsion on 23.03.2010 Ask the unit to apply for Consent to Establish. Decision on 19.08.2010 Proper reply be sent to the unit clarfing the requirement of Consent to Establish. ATR/Remarks Letter issued to the unit on 07.10.2010 CTO Issued valid upto 06.06.2003. CTO_R Issued valid upto 15.06.2006 vide cosent order no 6437. Applied for CTO_R on 16.01.2007 vide ID no. 20461. Applied for CTO_R on 04.01.2010 vide ID no. 32328. Water Consumption :0.2 KLD Waste Water generation : (a) Domestic effluent: 0.1 KLD (b) Trade effluent: NIL Date of Commissioning:1972 ETP : NO D.G.Set : 180 KVA (Proposed)
	Recommended for grant of consent to establish.
	Issue consent to establish.

	15
	35436  
	21-10-2010
	PACK INDIA
	PLOT NO.-260, POCKET-H, DSIDC SEC-I, BAWANA INDUSTRIAL AREA
	Bawana Industrial Area
	Orange Establish
	MFg. of PVC Compound and Plastic by Moulding m/c
	 
	07-12-2010 : Water Consumption : 120 lpd Waste Water generation : (a) Domestic effluent: 50 lpd (b) Trade effluent: Nil Date of Commissioning: Dec 2010 ETP : NA D.G.Set : Nil
	Recommended for grant of consent to establish.
	Issue consent to establish.

	16
	35438  
	21-10-2010
	PANKAJ PLASTICS
	F-259, FFC, PHASE-III, OKHLA INDUSTRIAL ESTATE
	Okhla Industrial Estate
	Orange Establish
	PLASTIC MOULDING AND INJECTION MOULDING.
	 
	10-11-2010 : DETAILS OF CASE Water Consumption : 0.29 Kl/d Waste Water generation : (a) Domestic effluent: 0.028 Kl/d (b) Trade effluent: Nil Date of Commissioning: 1999 ETP : NA D.G.Set : Nil G W : Nil CTR applied in 21.10.10 with ID 35437. CTO issued valid upto 30.03.2003 with CNO 1319.
	Recommended for grant of consent to establish.
	Issue consent to establish.

	17
	35440  
	21-10-2010
	PLASMIC INDIA
	F-265, FFC, PHASE-III, OKHLA INDUSTRIAL AREA
	Okhla Industrial Estate
	Orange Establish
	PLASTIC MOULDING AND INJECTION MOULDING.
	 
	03-12-2010 : Water Consumption : 0.29 Kl/d Waste Water generation : (a) Domestic effluent: 0.028 Kl/d (b) Trade effluent: Nil Date of Commissioning: 1999 ETP : NA D.G.Set : Nil G W : Nil 1. CTR applied in 21.10.10 vide ID 35439. 2. CTO issued valid upto 30.03.2003 vide CNO 1321.
	Recommended for grant of consent to establish.
	Issue consent to establish.

	18
	35448  
	21-10-2010
	AZAD TRADERS
	PLOT NO.-205, POCKET-I, SECTOR-5, DSIDC BAWANA INDUSTRIAL AREA
	Bawana Industrial Area
	Orange Establish
	Mfg. of PVC/Plastic Products PVC Compound and Its Moulded Goods.
	 
	07-12-2010 : Water Consumption : 300lpd Waste Water generation : (a) Domestic effluent: 250 lpd (b) Trade effluent: Nil Date of Commissioning: 21st Dec 2010 ETP : NA D.G.Set : NIL
	Recommended for grant of consent to establish.
	Issue consent to establish.

	19
	35450  
	21-10-2010
	GURUDWARA HARGOBINDSAR SAHIB
	G.T. ROAD, KARNAL ROAD, NANGLI POONA
	NORTH WEST
	Orange Establish
	A PARTY LAWN FOR SOCIAL FUNCTIONS.
	 
	21-12-2010 : CMC decision: 13.08.2010 Issue closure direction ATR: Water Consumption :5.2 kilo ltr/occasion Waste Water generation : (a) Domestic effluent: NIL (b) Trade effluent: 5.0 Kilo ltr/occasion Date of Commissioning: 12.05.2010 ETP : Installed D.G.Set : 125 KVA closure direction issued on 15.09.2010 As spproved on file,closure directions revoked after the reciept of BG of rs.1 lac each under the air & water act on 03.11.2010. This party lawn is not having MCD permission. However honrable L.G of Delhi in the matter of Gurudwara Hargobindsar Sahib Vs MCD (An Appeal under the Delhi Municipal corporation Act) vide its order dated 12.05.2010 directed MCD to deseal the property and to watch taht appelent does not voilet the undertaking and not to use the property for commercial use.
	Ask the unit to clarify that applicability of consent to establish applied for party lawn for social function whereas Lt. Governor, Delhi has ordered for de-sealing of the premises in consideration that the premises will only be used for religious functions with Gurudwara. 
	Ask the unit to clarify that applicability of consent to establish applied for party lawn for social function whereas Lt. Governor, Delhi has ordered for de-sealing of the premises in consideration that the premises will only be used for religious functions with Gurudwara. 

	20
	35453  
	25-10-2010
	QUEST HOME PRODUCTS PVT. LTD
	C-109/3, NARIAN INDL AREA, PH-I
	Naraina Industrial Area Phase - I
	Orange Establish
	COSMETICS AND TOILETERIES
	 
	08-12-2010 : Details: Water Consumption :0.2 KLD Waste Water generation : (a) Domestic effluent: 0.08 KLD (b) Trade effluent: NIL Date of Commissioning: Dec, 2010 ETP : NO D.G.Set : NIL
	Recommended for grant of consent to establish. Subsequently, inspection be conducted.
	Issue consent to establish. Subsequently, inspection be conducted.

	21
	35458  
	25-10-2010
	BESTO PLASTIC
	PLOT NO.-307/1 & 1-A SHAHZADA BAGH INDUSTRIAL AREA
	Shahzada Bagh Industrial Area
	Orange Establish
	Manufacturing of plastic and PVC Products.
	 
	07-12-2010 : Water Consumption : 100 lpd Waste Water generation : (a) Domestic effluent: 50 lpd (b) Trade effluent: Nil Date of Commissioning: Dec 2010 ETP : NA D.G.Set : Nil
	Recommended for grant of consent to establish.
	Issue consent to establish.

	22
	35465  
	25-10-2010
	ASIA FOOTWEAR
	PLOT NO.-34, POCKET-D, SECTOR-5, DSIDC BAWANA INDUSTRIAL AREA
	Bawana Industrial Area
	Orange Establish
	Mfg. of PVC/Plastic Products. PVC/Plastic Compound and Footwear etc.
	 
	07-12-2010 : Water Consumption : 300 lpd Waste Water generation : (a) Domestic effluent: 250 lpd (b) Trade effluent: Nil Date of Commissioning: 1st Jan 2011 ETP : NA D.G.Set : Nil
	Recommended for grant of consent to establish.
	Issue consent to establish.

	23
	35466  
	25-10-2010
	GRAND PLAZA AFFARES
	33/33A, RAMA ROAD NAJAFGARH ROAD INDL AREA
	WEST
	Orange Establish
	BANQUET HALL
	 
	07-12-2010 : ATR/Remarks Water Consumption :0.3 KLD Waste Water generation : (a) Domestic effluent: 0.5 KLD (b) Trade effluent: 0.2 KLD Date of Commissioning: Sep, 2010 ETP : NO D.G.Set : NIL
	Recommended for grant of consent to establish. Subsequently, inspection be conducted.
	Issue consent to establish. Subsequently, inspection be conducted.

	24
	35467  
	25-10-2010
	BISHAMBER NATH ENGG. WORKS
	D-145, SECT-5, DSIDC BAWANA INDUSTRIAL AREA
	Bawana Industrial Area
	Orange Establish
	Mfg. of PVC Products.
	 
	07-12-2010 : Water Consumption : 200 lpd Waste Water generation : (a) Domestic effluent: 100 lpd (b) Trade effluent: Nil Date of Commissioning: 1st Dec 2010 ETP : NA D.G.Set : Nil
	Recommended for grant of consent to establish.
	Issue consent to establish.

	25
	35473  
	26-10-2010
	HPMC LTD HIMACHAL COLD STORAGE
	C-1-3,LAWRENCE ROAD INDUSTRIAL AREA
	Lawrence Road Industrial Area
	Orange Establish
	COLD STORAGE FOR HORTICULTURE AND AGRICULTURE PRODUCTS.
	 
	21-12-2010 : CMC decision: As Per the decision taken by the Competent Authority on 20.09.2010 letter was sent to the unit 0n 20.10.2010. 19.08.2010 Call for personal hearing. ATR: Letter issued to the unit on 23.02.2010 informing that their CTE application will be returned back as application is incomplete. No reply received. Water Consumption : 1.2 Kilo ltr/day Waste Water generation : (a) Domestic effluent: 1 Kilo ltr/day (b) Trade effluent: NIL Date of Commissioning: ETP : Proposed D.G.Set : 300 KVA with adeguate stack height in mtr from the roof of the building.
	Recommended for grant of consent to establish.
	Issue consent to establish.

	26
	35474  
	26-10-2010
	G.K.S. BATTERY INDUSTRIES
	PLOT NO.-136, POCKET-C, SEC-3, DSIDC BAWANA INDUSTRIAL AREA
	Bawana Industrial Area
	Orange Establish
	Job Work of Pasting and Charging of Auto Battery.
	 
	07-12-2010 : Water Consumption : 200 lpd Waste Water generation : (a) Domestic effluent: 150 lpd (b) Trade effluent: Nil Date of Commissioning: Nov. 2010 ETP : NA D.G.Set : Nil Insp. Done on 31-005-2010. Dir for closure isssued to BGS Ind. Consent revoked of GKS Ind. earlier decisions 09.09.2009 Issue Consent to Establish and subsequently inspection be conducted to know the present status of the unit. 27.08.2010 Consent revoked w.r.t M/s G.K.S. Battery. Issue closure directions to M/s BGS Industries.
	Ask the unit to submit Bank Guarantee of Rs. 1 Lakh under Air Act valid for one year and affidavit stating that casting activity has been closed down and shall not start in future. Also ask the unit to install ECS with other sections. If unit submits the Bank Guarantee and affidavit, closure directions be revoked and consent to establish be issued. 
	Ask the unit to submit Bank Guarantee of Rs. 1 Lakh under Air Act valid for one year and affidavit stating that casting activity has been closed down and shall not start in future. Also ask the unit to install ECS with other sections i.e. oxide manufacturing, paste mixing, assembling etc. If unit submits the Bank Guarantee, affidavit and put ECS, closure directions be revoked and consent to establish be issued. 

	27
	35475  
	26-10-2010
	SHANTI ROYAL (A UNIT OF S.A. FRAGRANCES PVT. LTD.)
	B-4, GTK ROAD INDUSTRIAL AREA
	G.T. Karnal Road Industrial Area
	Orange Establish
	BANQUET HALL CONSISTING OF BANQUETING FOR 400 PERSONS TO ORGANIZE FUNCTION.
	 
	21-12-2010 : ATR: Water Consumption : 6.00 Kilo ltr/day Waste Water generation : (a) Domestic effluent: 0.80 Kilo ltr/day (b) Trade effluent: 4.00 Kilo ltr/day Date of Commissioning: Dec,2010 ETP : Proposed D.G.Set : 1x 200 KVA, 1x 140 KVA, 1x 125 KVA, 1x 62.50 KVA
	Recommended for grant of consent to establish. Subsequently, inspection be conducted.
	Issue consent to establish. Subsequently, inspection be conducted.

	28
	35476  
	26-10-2010
	MOON LIGHT WIRE PRODUCTS
	PLOT NO.-135, POCKET-D, SECTOR-4, DSIDC BAWANA INDUSTRIAL AREA
	Bawana Industrial Area
	Orange Establish
	Mfg. of Wire and Cables.
	 
	07-12-2010 : Water Consumption :200 lpd(Source MCD, Corporation Or Ground Water as per affidavit) Waste Water generation : (a) Domestic effluent: 150 lpd (b) Trade effluent: Nil Date of Commissioning: Nov. 2010 ETP : NA D.G.Set : Nil
	Recommended for grant of consent to establish.
	Issue consent to establish.

	29
	35478  
	26-10-2010
	JAILAXMI ENTERPRISES PVT. LTD
	A-92/4, NARAINA INDL. AREA PH-I
	Naraina Industrial Area Phase - I
	Orange Establish
	CFL PARTS
	 
	07-12-2010 : ATR/REMARKS Water Consumption : 0.3 KLD Waste Water generation : (a) Domestic effluent: 0.175 KLD (b) Trade effluent: NIL Date of Commissioning:1995 ETP : NO D.G.Set : NIL
	Inspection be conducted.
	Inspection be conducted.

	30
	35479  
	26-10-2010
	NAVTECH INDUSTRIES
	M-20, PHASE-I, BADLI INDUSTRIAL ESTATE
	Badli Industrial Estate
	Orange Establish
	MANUFACTURING OF STAINLESS STEEL CUTLERY WITH BUFFING/POLISHING.
	 
	20-12-2010 : CMC decision: 09.11.2010 After recommendation of Scrutinizing Committee, unit has submitted representation and confirmation of rectification of deficiencies on affidavit on 25.10.2010 and requested for revocation of closure directions. Ask the unit to submit Bank Guarantee of Rs. 1 Lakh under Air Act valid for one year. If unit submits Bank Guarantee, closure directions be revoked. ATR: Water Consumption : 0.1 kilo ltr/day Waste Water generation : (a) Domestic effluent: 0.02 kilo ltr/day (b) Trade effluent: NIL Date of Commissioning: 2006 ETP : N/A D.G.Set : NIL Closure direction revoked on the basis of bank gaurantee recieved on 24.11.2010.
	Recommended for grant of consent to establish.
	Issue consent to establish.

	31
	35483  
	26-10-2010
	SHREE SUDARSHAN INDUSTRIES
	PLOT NO.-B-8, JHILMIL INDUSTRIAL AREA
	Jhilmil Industrial Area
	Orange Establish
	Copper Hot RE Rolling.
	 
	07-12-2010 : Water Consumption :600 L/Day Waste Water generation : (a) Domestic effluent: 50 L/Day (b) Trade effluent: NIL Date of Commissioning:22.11.2010. ETP : No D.G.Set : 1250 KVA. G.W.: Nil
	Recommended for grant of consent to establish with the condition that capacity shall be less than 25 MT/day. 
	Issue consent to establish with the condition that capacity shall be less than 25 MT/day. 

	32
	35490  
	26-10-2010
	SEEMA ENTERPRISES
	PLOT NO.-A-6, JHILMIL INDUSTRIAL AREA
	Jhilmil Industrial Area
	Orange Establish
	Manufacturing of Plastic Molding Items.
	 
	07-12-2010 : Water Consumption :100 L/Day Waste Water generation : (a) Domestic effluent: 20 L/Day (b) Trade effluent: Nil Date of Commissioning:27.11.2010. ETP : No D.G.Set : NA G.W.: Nil
	Recommended for grant of consent to establish.
	Issue consent to establish.

	33
	35494  
	27-10-2010
	R.K. PLASTIC INDIA
	PLOT NO.-15, POCKET-G, SEC-5, DSIDC BAWANA INDUSTRIAL AREA
	Bawana Industrial Area
	Orange Establish
	Manufacturing of Wire Drawing.
	 
	07-12-2010 : Water Consumption :100 lpd Waste Water generation : (a) Domestic effluent: 50 lpd (b) Trade effluent: Nil Date of Commissioning: Dec 2010 ETP : NA D.G.Set : Nil
	Recommended for grant of consent to establish.
	Issue consent to establish.

	34
	35495  
	27-10-2010
	JOLLY METAL INDUSTRIES
	PLOT NO.-G-27, POCKET-F, SECTOR-3, DSIDC BAWANA INDUSTRIAL AREA
	Bawana Industrial Area
	Orange Establish
	Manufacturing of Plastic and PVC Products and Engineering works.
	 
	29-12-2010 : BUA:150 sqm GW: Nil Water consumption: 100 lit/day Year of Establishment: 2010
	Recommended for grant of consent to establish.
	Issue consent to establish.

	35
	35499  
	27-10-2010
	BADHAAI BANQUET (A UNIT OF BALDEV RAJ BHANDARI & SONS)
	A-7, G.T. KARNAL ROAD INDUSTRIAL AREA
	G.T. Karnal Road Industrial Area
	Orange Establish
	EATING HOUSE (BANQUET HALL).
	 
	21-12-2010 : CMC decision: 27.08.2010 Issue SCN for refusal of consent since unit has not applied for consent to establish. ATR: Water Consumption : 9500 ltr/day Waste Water generation : (a) Domestic effluent: 2000 ltr/day (b) Trade effluent: 6000 ltr/day Date of Commissioning: 2002 ETP : Proposed D.G.Set : 125 & 62.5 KVA with stack height of 3 mtr from the roof of the buliding. SCN for refusal issued on 24.09.2010. Reply received.
	Recommended for grant of consent to establish.
	Issue consent to establish.

	36
	35500  
	27-10-2010
	CHARU MOTORS PVT. LTD.
	M-22-23, BADLI INDUSTRIAL ESTATE
	Badli Industrial Estate
	Orange Establish
	DENTING PAINTING REPAIRING AND SERVICING OF CARS.
	 
	21-12-2010 : ATR: Water Consumption : 6.500 kilo ltr/day Waste Water generation : (a) Domestic effluent: 0.400 kilo ltr/day (b) Trade effluent: 4.800 kilo ltr/day Date of Commissioning: Dec, 2010 ETP : To be installed D.G.Set : 125 KVA and its stack height 2.5 mtr
	Recommended for grant of consent to establish. Subsequently, inspection be conducted.
	Issue consent to establish. Subsequently, inspection be conducted.

	37
	35503  
	27-10-2010
	SPARCO BATTRIES PVT. LTD
	A-35/1, PHASE-I, MAYAPURI INDUSTRIAL AREA
	Mayapuri Industrial Area
	Orange Establish
	MFG OF LEAD ACID BATTRIES
	 
	08-12-2010 : Earlier CMC Decision: Decision on 09.11.2010 Ask the unit to submit Bank Guarantee of Rs. 1 Lakh under Air Act valid for one year. If unit submits the Bank Guarantee, closure directions be revoked Details: Water Consumption : Waste Water generation : 500 LPD (a) Domestic effluent: 120 LPD (b) Trade effluent: N/A Date of Commissioning:1999 ETP : N/A D.G.Set : Proposed ATR/Remarks: CTO issued valid upto 25.07.2005 vide consent order no 10589. Applied for CTO_R on 25.07.2005 vide ID no 15570 Applied for CTO_R on 25.09.2008 vide ID no 27564. Unit applied for fresh authorization under HWM Rules on 27.10.2010 vide ID no 0470. Unit inspected on 24.09.2010 w.r.t. CWG. on the basis of deficiencies observed during the inspection, Closure Direction u/s 31 (A) of the Air Act issued to the unit on 11.10.2010. Unit submitted BG on 16.11.2010. Revocation of closure u/s 31 (A) of the Air Act issued to the unit on 19.11.2010.
	Recommended for grant of consent to establish.
	Issue consent to establish.

	38
	35504  
	27-10-2010
	MACHINO TECH INDUSTRIES
	A-114/2, WAZIRPUR INDUSTRIAL AREA
	Wazirpur Industrial Area
	Orange Establish
	BUFFINF OF S.S. UTENSILS.
	 
	21-12-2010 : ATR: Water Consumption : 50 ltr/day Waste Water generation : (a) Domestic effluent: NIL (they will use sulabh toilet) (b) Trade effluent: NIL Date of Commissioning: Nov, 2010 ETP : N/A D.G.Set : NIL
	Recommended for grant of consent to establish. Subsequently, inspection be conducted.
	Issue consent to establish. Subsequently, inspection be conducted.

	39
	35505  
	27-10-2010
	EXPERT ELECTRICAL (SALES)
	A-63/1, G.T. KARNAL ROAD INDUSTRIAL AREA
	G.T. Karnal Road Industrial Area
	Orange Establish
	MFG. OF A.C. GENERATORS OR MOTORS.
	 
	21-12-2010 : CMC decision: 27.08.2010 Issue SCN for refusal of consent ATR: Water Consumption : 200 ltr/day Waste Water generation : (a) Domestic effluent: 150 ltr/day (b) Trade effluent: NIL Date of Commissioning: 2004 ETP : N/A D.G.Set : 40 KVA with stack height of 4 mtr from roof level SCN issued on 24.09.2010 No reply received.
	Recommended for grant of consent to establish.
	Inspection be conducted.

	40
	35507  
	28-10-2010
	PHOENIX CONTACT INDIA PVT. LTD.
	A-58/2, OKHLA INDUSTRIAL AREA, PHASE-II
	Okhla Industrial Area
	Orange Establish
	MANUFACTURE OF TERMINAL BLOCKS.
	 
	03-12-2010 : EARLIER CMC DECISIONS 05.08.2010 Ask the unit to apply for consent to establish. DETAILS OF CASE Water Consumption : 4 Kl/d Waste Water generation : (a) Domestic effluent: 0.8 Kl/d (b) Trade effluent: Nil Date of Commissioning: Jan 2010 ETP : N/A D.G.Set :250 Kva GW : 1 K/d CTR applied on 25.06.2010 vide ID 34329. Earlier CTO valid upto 10.07.07 and CTR applied on 21.08.07 in the name of M/s Lakshman Exports (P) Ltd.
	Recommended for grant of consent to establish.
	Issue consent to establish.

	41
	35508  
	28-10-2010
	KESAR INDUSTRIES
	PLOT NO.-30, GALI NO,-3, FRIENDS COLONY INDUSTRIAL AREA
	Friends Colony Industrial Area
	Orange Establish
	PVC Wire and Cables.
	 
	07-12-2010 : Water Consumption :0.20 KL/D. Waste Water generation : (a) Domestic effluent: 0.15 KL/D. (b) Trade effluent: Nil Date of Commissioning:Jan 2010. ETP : NA D.G.Set : Nil G.W.: Nil
	Recommended for grant of consent to establish.
	Issue consent to establish.

	42
	35510  
	28-10-2010
	SHIVAM ENTERPRISES
	1/424/5, GALI NO.-1B, FRIENDS COLONY INDUSTRIAL AREA
	Friends Colony Industrial Area
	Orange Establish
	Copper wire drawing and mfg. of PVC insulation/wire and cables.
	 
	07-12-2010 : Water Consumption :170 L/Day Waste Water generation : (a) Domestic effluent: 50 L/Day (b) Trade effluent: Nil. Date of Commissioning:Jun 2010. ETP : No D.G.Set : Nil. G.W.: Nil. G.W.: Nil
	Recommended for grant of consent to establish.
	Issue consent to establish.

	43
	35512  
	28-10-2010
	VANDNA ELECTRICALS
	PLOT NO.-14, POCKET-G, SECTOR-3, DSIDC BAWANA INDUSTRIAL AREA
	Bawana Industrial Area
	Orange Establish
	Manufacturing of Electrical Fans and Appliances.
	 
	07-12-2010 : Water Consumption : Waste Water generation : (a) Domestic effluent: (b) Trade effluent: Nil Date of Commissioning: Nov 2010 ETP : NA D.G.Set : 1 no., capacity 32 KVA , stack height 3m above roof.
	Recommended for grant of consent to establish. Subsequently, inspection be conducted.
	Issue consent to establish. Subsequently, inspection be conducted.

	44
	35521  
	29-10-2010
	GANESH FOUNDRY WORK
	B-141, PH-I, MAYAPURI INDUSTRIAL AREA
	Mayapuri Industrial Area
	Orange Establish
	C I CASTING THROUGH PIT FURANCE
	 
	08-12-2010 : Earlier CMC Decision: Decision on 09.11.2010 Ask the unit to remove the cupola furnace from the premises & install the pit furnace and confirm on an affidavit. Details: Water Consumption : Waste Water generation : 500 LPD (a) Domestic effluent: 300 LPD (b) Trade effluent: NIL Date of Commissioning:Nov 2010 ETP : N/A D.G.Set : N/A ATR/Remarks: Earlier CTO issued valid upto 01.07.2005 CTO_R issued valid upto 01.07.2008. Unit applied for renewal of authorization under HWM rules on 14.07.2006 vide ID no 2838. Unit inspected on 28.09.2010 w.r.t. CWG. On the basis of deficiencies observed during the inspection, Closure Direction u/s 31 (A) of the Air Act issued to the unit on 11.10.2010. Unit submitted BG on 02.12.2010 Temporary revocation of closure u/s 31 (A) of the Air Act issued to the unit on 19.11.2010.
	Recommended for grant of consent to establish. Subsequently, inspection be conducted.
	Issue consent to establish. Subsequently, inspection be conducted.

	45
	35522  
	29-10-2010
	METRO PLASTICS
	1/342-B, GALI NO. 1. FRIENDS COLONY INDUSTRIAL AREA,G.T.ROAD, SHAHDARA
	Friends Colony Industrial Area
	Orange Establish
	Manufacturing of Pet Perform.
	 
	07-12-2010 : Water Consumption :0.200 KL/D. Waste Water generation : (a) Domestic effluent: 0.02 KL/D (b) Trade effluent: Nil Date of Commissioning:1999 EXISTING. ETP : NA D.G.Set : 200 KVA. NMR: No CTO granted valid up to 25.07.2005. Applied for CTR on 12.01.2010. 19.08.2010: Issued SCN for refusal of consent on 19.08.2010. Letter issued on 01.10.2010 regarding number of DG set in possession. G.W.: Nil
	Recommended for grant of consent to establish.
	Issue consent to establish.

	46
	35523  
	29-10-2010
	PILOT INDUSTRIES
	PLOT NO.-110, POCKET-G, SEC-3, DSIDC BAWANA INDUSTRIAL AREA
	Bawana Industrial Area
	Orange Establish
	Mfg. of Plastic Moulded items.
	 
	07-12-2010 : Water Consumption :100 lpd (Source MCD, Corporation Or Ground Water as per affidavit) Waste Water generation : (a) Domestic effluent: 50 lpd (b) Trade effluent: Nil Date of Commissioning: Nov 2010 ETP : NA D.G.Set : Nil
	Recommended for grant of consent to establish.
	Issue consent to establish.

	47
	35524  
	29-10-2010
	S.S. SAHNI TECHNOLOGIES
	A-20/2, PH-I, MAYAPURI INDUSTRIAL AREA
	Mayapuri Industrial Area
	Orange Establish
	MFG DRY BATTERIES AND BATTERY PLATES
	 
	08-12-2010 : EArlier CMC Decision Decision on 09.11.2010 Ask the unit to remove the cupola furnace from the premises & install the pit furnace and confirm on an affidavit. ATR/Remarks Water Consumption : 400 LPD Waste Water generation : (a) Domestic effluent: 60 LPD (b) Trade effluent: NIL Date of Commissioning:2005 ETP :N/A D.G.Set : Proposed Earlier CTE issued valid upto 03.01.2006 CTO issued valid upto 30.05.2009. Unit applied for fresh authorization under HWM Rules on 01.11.2010 Unit inspected on 24.09.2010 w.r.t. CWG. On the basis of deficiencies observed during the inspection, Closure Direction u/s 31 (A) of the Air Act issued to the unit on 11.10.2010 Unit submitted Bank Guarantee on 19.11.2010. Revocation of closure direction u/s 31 (A) of the Air Act issued to the unit on22.11.2010.
	Recommended for grant of consent to establish.
	Issue consent to establish.

	48
	35527  
	29-10-2010
	S.K. JAIN
	A-32, GROUP, TOP FLOOR, WAZIRPUR INDUSTRIAL AREA
	Wazirpur Industrial Area
	Orange Establish
	BUFFING ON UTENSILS JOB WORK BASIS.
	 
	21-12-2010 : ATR: Water Consumption : 0.02 Kilo ltr/day Waste Water generation : (a) Domestic effluent: NIL (b) Trade effluent: NIL Date of Commissioning: Nov, 2010 ETP : N/A D.G.Set : NIL
	Recommended for grant of consent to establish. Subsequently, inspection be conducted.
	Issue consent to establish. Subsequently, inspection be conducted.


	Sl. No 
	firm_name
	firm_address
	firm_area
	Consent Status
	Proposed  Activity/ Product
	ATR / Remarks
	Recommendations of Scrutinizing Committee on 06.01.2011
	Decision recommended by CMC(Orange) on 21.01.2011

	1
	White 
Machines
	59, Rama
Road,
	Najafgarh Road Industrial Area
	Earlier CTO issued valid 
upto 17.06.2005 under Orange category for the activity of cast iron chilled rolls.
Applied for CTO_R under orange category on 12.09.2005 vide ID no 16372.
CTE issued valid upto 22.12.2010 under Green category for the activity of light engg. works (machining of machinery parts)
Applied for CTO on 03.11.2010 under Green category vide ID no 35565.
	Machining 
workshop for casted rolls
	Unit was inspected on 22.09.2010 under the inspection of air polluting units  and during the inspection following were observed:
1.) Unit found operational and engaged in the activity of mfg. of chilled rolls.
2.) one cupola furnace found installed, coal is used as fuel and no Emission Control System found installed.
3.) Casting chamber/ oven is found installed for heating dies using wood as fuel.
Accordingly Clousre Directions u/s 31(A) of the Air Act, 1981were issued to the unit on 11.10.2010.
Unit approached to Ho'ble High Court and decision its vide order dated 19.10.2010, Court set aside the directions of DPCC and directed to inspect the unit, afresh with personal hearing before initiate any action. 
As per Ho'ble High Court directions, the unit was inspected by the officials of DPCC on 28.10.2010 and following were observed:
1.) unit is engaged in Machining of C.I. Casted rolls and found in operation.
2.) Cupola furnace is not found at site.
3.) following Machine in dismentalled condition are lyeing at casted section:
a) Centrifuagal casting machine-1 no.
b) Ladle-1 no.
c) Sand mixing machine- 1 no.
d) moulding box-1 no.
e) Garam Ghar (backing chamber/drying chamber for cores.)
f) approx. 3-4 tones of hard coke and approx. 15-20 tones of CI scraps is lying at casting section.
Accordingly, the unit has given personal hearing before MS of DPCC on 08.11.2010 and during the hearing 
properitor Mr. Vikrant Singh Gill was asked to prove his statement for not doing the csting activity from 
07.02.2010 with origional documents and record available with them. However, unit has failed to submit the 
documentary proof.
The unit was again inspected on 02.12.2010 and following were observed:
1.) unit fopund operational & engaged in the activity of machining of CI Casting rolls.
2.) no cupola furnace is found installed 
3.) Approx. 2 tons of hard coke found at site.
4.) Approx. 1.25 tons of roll scraps were found which will be stock transfer to Bahadurgarh.
Unit has repeatedly requested to DPCC to not take any further action as cupola furnace has already 
removed from the site.
	Ask the unit to furnish an affidavit stating that unit will not carry out the casting activity and will submit the Bank Guiarantee of Rs. 1 Lakh under Air Act valid for one year. 
	Ask the unit to furnish an affidavit stating that unit will not carry out the casting activity and will submit the Bank Guiarantee of Rs. 1 Lakh under Air Act valid for one year. 


	S.No.
	firm_name
	firm_address
	area_name
	Proposed  Activity/ Product
	Earlier CMC Decision
	ATR/Remarks
	Reccomendation of Scrutinizing Committee on 06.01.2011
	Decision recommended by CMC(Orange) on 21.01.2011

	2
	Punjab Steel 
Works,
	B-38, 
Phase-I
	MAYAPURI 
INDUSTRIAL AREA
	Forging of 
Components
	Decision on 09.11.2010

Ask the unit to confirm the installation of gas/ LDO fired boiler in its premises and to confirm that the coal fired boiler has been removed on an affidavit.
	Applied for CTO on 20.02.2007 vide application no. 20680.

Unit inspected on 09.09.2010 and as decided in CMC on 30.09.2010,  SCN  for closure u/s 31 (A) of the Air Act in view of the fact that one coal fired boiler was found installed in operational and  Carbon Black Feed Stock (CBFS) is being used in furnace which is not an approved fuel, issued on 04.10.2010.
Unit had submitted a representation on 12.11.2010 along with copy of sealing order, wherein unit has requested to revoke the direction to complete the work of installation of Gas connection and gas fired boiler. the unit also ready to submit tha any Bank Guarantee.

Unit submitted the Bank Guarantee of RS. 1 lakh on 19.11.2010, the temporary revocation of closure direction issued to the unit on 22.11.2010

Unit submitted the representation along with an affidavit on 08.12.2010 and stating that they have convert their coal fired boiler into oil fired boiler and requesting for permanant revocation of the closure direction.
Unit applied for CTE on 04.01.2011 vide application no 36139 for the activity of Forging of components.
	Recommended for revocation of directions u/s 31 (A) of the Air Act.
	Implement the CMC(Orange) decision dated 13.01.2011.


	S.No.
	ID No
	appl_dt
	firm_name
	firm_address
	area_name
	Category
	Proposed  Activity/ Product
	Earlier CMC Decision
	ATR/ Remarks
	Recommendations of Scrutinizing Committee on 06.01.2011
	Decision recommended by CMC(Orange) on 21.01.2011

	3
	34334
	25-06-2010
	ARIHANT PLASTICS
	F-30, DSIDC INDL COMPLEX
	NANGLOI DSIDC INDUSTRIAL AREA
	RENEWAL
	Mfg. of Plastic parts.
	Decision on 05.08.2010
Ask the unit to apply for consent to establish.
	Unit  submitted its reply on 15.12.2010 and stating that they have obtained Consent to Establish already, vide consent order no. 1629. copy is also enclosed.
Earlier CTO issued valid upto 08.07.05 vide Consent no.1339.
Applied for CTO_R on 12.03.07 vide ID no 20829.
D.G.Set: 125 KVA. NMR submitted on 17.06.2010.
Trade effluent: nil
Domestic effluent: 150 LPD.
	Recommended for grant of renewal of consent.
	Issue renewal of consent with the condition to provide hood & suction arrangement followed by a duct raised well above the roof levels (at least 2.0 meter above roof level) to channelize the process emissions within 06 months. 

	S.No.
	firm_name
	firm_address
	area_name
	Activity/ Product
	Earlier CMC Decision
	ATR/Remarks
	Reccomendation of Scrutinizing Committee on 06.01.2011
	Decision recommended by CMC(Orange) on 21.01.2011

	4
	Hindustan 
Petroleum Corporation Limited
	Bijwasan installation, 
Bijwasan
	NC-SW
	Receipt, Storage 
and Distribution of petroleum products
	Decision on 05.08.2010
Issue Renewal of Consent, inform to DJB regarding ground water extraction.
	Earlier CTO_r issued valid upto 01.06.2013 vide Consent order no. 25513
CTE issued valid upto 04.09.2001
CTO issued valid upto 21.06.2007
Applied for CTO_R on 15.06.2007
Applied for fresh authorization under HWM Rules on 02.06.2010
DG set of 230 KVA installed, NMR submitted dated 25.05.2010.
Trade eff: nil
Domestic eff: 1.6 KLD
	Recommneded for grant of authorization under HWM Rules.
	Issue authorization under HWM Rules.

	Sl. No 
	ID No
	appl_dt
	firm_name
	firm_address
	area_name
	Details of the case
	Activity/ Product
	Earlier CMC Decisions  
	ATR / Remarks
	Recommendations of Scrutinizing Committee on 06.01.2011
	Decision recommended by CMC(Orange) on 21.01.2011

	5
	34392
	07-05-10
	DABBU  PLASTIC 
	Plot no- 32, Sec-5, Pocket- A, DSIDC  
	Bawana Industrial area
	CTE :YES
Water Consumption :700 ltr/day
Waste Water generation : 
(a) Domestic effluent: 150 ltr/day
(b) Trade effluent: 500   ltr/day
(c) Ground Water : Nil.
Date of Commissioning: SEPT 2003
ETP :  YES
Test Report (Water) within limit :YES
Test Report (Air) within limit :  NA
NMR submitted : N/A
	Plastic Waste with washing (without reprocessing )
	 
	SCN for refusal and SCN for Closure issued to the unit on 9-6-2010
Reply on 25-06-2010 stating that the ETP has been installed & has placed order for adequacy and test report with Guru Govind Singh Indrapastha University, installed well designed stack with hopper & exhaust system, bore well is not in working condition, have a 4 KVA DG Set & submitted that 4 KVA DG set don’t come under acoustic but if department suggest to cover it with acoustic, he will do so.
CTE valid from 11.02.2003 to 10.02.2004.
CTE valid from 21.01.2004 to 20.01.2007.
CTR Applied on 26.12.2006.
CTR Applied on 14.12.2009.
CTE Applied on 05.07.2010. 
CTO Applied on 06.07.2010. 
	Ask the unit to submit Bank Guarantee of Rs. 50,000 under Air Act and Water Act valid for  one year and stack moitoring report of system installed on grinding section from approved laboratory of DPCC. If unit submits the same, consent to operate and consent to establish be issued.
	Ask the unit to submit Bank Guarantee of Rs. 50,000 under Air Act and Water Act valid for  one year and stack moitoring report of system installed on grinding section from approved laboratory of DPCC. If unit submits the same, consent to operate and consent to establish be issued.


	Sl. No 
	ID No
	appl_dt
	firm_name
	firm_address
	area_name
	Proposed  Activity/ Product
	Project Details
	Earlier CMC Decisions  
	ATR
	Recommendations of Scrutinizing Committee on 06.01.2011
	Decision recommended by CMC(Orange) on 21.01.2011

	6
	27269
	10-09-2008
	BEST MEGA MALL
	CSC/OCF NO. 7, SECTOR-24, PHASE-III, ROHINI
	NC-NW
	Commercial complex
	BUA :  989.548sq.m
EC : NA
Water Consumption :6KLD
Waste Water generation : 
(a) Domestic effluent: 5KLD
(b) Trade effluent: NIL
Total Project Cost : 9 crores
Date of Commissioning: feb 2007
	                            17.09.2008
SIT to inspect and report. Call on 16.10.2008
                             15.10.2008
Call for personal hearing on 06.11.2008 at 7.30 PM and also to correct the deficiencies noted by SIT. 
                         06.11.2008
The unit came for personal hearing today. It claims that it was unaware of the provisions of Air and Water Acts and has applied for Consent to Establish. In view of the fact the mall is operational but the domestic effluent being only 5 KLD, the Committee deliberated and reduced the environmental damages to Rs. 5 Lakhs and Bank Guarantee to Rs. 10 Lakhs valid for three years. To be complied by 23.12.2008. If the unit complies with the same, issue Consent to Establish across the table. Call on 23.12.2008.
                            23.12.2008
Issue final reminder. Call on 28.01.2009
                            28.01.2009
ALO  with advocate to file copy of court order and put up administratively. Call on 30.01.2009
                              30.01.2009
ALO with the help of our advocate, to get the court order and submit the file administratively with the court order. ALO be advised to submit, whatever transpires in the court, only in writing. 
                             15.06.2009
Call on 12.08.2009
  Recommendations of Scrutinizing Committee on 
25.06.2010 / 30.06.2010
Matter is subjudice. Inspecton be conducted to know 
the present status of construction viz a viz pollution 
control systems.
                           05.08.2010
Put up in next CMC.
11.10.2010
File be put up administratively with latest court order.
                             
	Environmental Damages:5lakhs
Bank Guarantee :10 lakhs 
Not submitted.
	Legal opinion may be sought from Legal Cell.
	Opinion be sought from Legal Cell.

	7
	33889
	17.05.2010
	STAIN LAY INDIA PVT. LTD
	PLOT NO 73
	SSI INDUSTRIAL AREA
	S.S utensils w/o buffing
	CTO granted and valid up to 13.02.2006
CTR granted and valid up to 14.02.2009.
Plot Area-1100sqm
DG  set-180KVA stck ht 3m
Trade-NIL
	
13.11.2009- inspection be conducted w.r.t electrocleaning prcess
27.04.2010- Inspection done. Issue SCN for remove facilities of pickling activity
Recommendations of Scrutinizing Committee on 18.05.2010/19.05.2010/20.05.2010
      Recommended for grant of renewal of consent.                
 30.07.2010
Put up in next CMC with the facts about removal of the pickling activity.
11.10.2010 
Ask the unit to submit Bank Guarantee of Rs. 50,000 each under Water Act and HWM Rules valid for one year. If unit submits the Bank Guarantee, renewal of consent be issued. Subsequently, inspection be also conducted within 03 months.
	The ATR in this case was mixed with another unit located at plot no 39, SSI. Hence, decision taken in CMC requires modification. Unit is carried out S.S. Utensils without buffing. 
	Inspection be conducted.
	Inspection be conducted.

	8
	27270
	10-09-2008
	BEST SKY TOWER
	PLOT NO. F5, NETAJI SUBHASH PLACE, PITAMPURA
	NC-NW
	Commercial complex.
	BUA :  9171.63sqm
EC : NA
Water Consumption :26KLD

Waste Water generation : 
(a) Domestic effluent:21KLD 
(b) Trade effluent:NIL 
Total Project Cost : 22 crores
Date of Commissioning:Jan 2009 
	                            17.09.2008
SIT to inspect and report. Call on 16.10.2008
                               15.10.2008
Call for personal hearing on 06.11.2008 at 7.15 PM and also to correct the deficiencies noted by SIT. 
                               06.11.2008
The unit came for personal hearing today. It claims that it was unaware of the provisions of Air and Water Acts and has applied for Consent to Establish. The Committee deliberated on the issue and decided to impose environmental damages of Rs. 6 Lakhs and Bank Guarantee of Rs. 12 Lakhs valid for three years to be complied by 23.12.2008. If the unit complies with the same, issue Consent to Establish across the table. Call on 23.12.2008.
                                23.12.2008
Issue final reminder. Call on 28.01.2009
                          28.01.2009
ALO  with advocate to get court order copy and put up administratively. Call on 30.01.2009
                                30.01.2009
ALO with the help of our advocate, to get the court order and submit the file administratively with the court order. ALO be advised to submit, whatever transpires in the court, only in writing. 
                               15.06.2009
Call on 12.08.2009
Recommendations of Scrutinizing Committee on 
25.06.2010 / 30.06.2010
Matter is subjudice. Inspecton be conducted to know 
the present status of construction viz a viz pollution 
control systems.
                           05.08.2010
Put up in next CMC.
11.10.2010
File be put up administratively with latest court order.
                             
	Environmental Damages: Rs. 6 Lakh not submitted.
Bank Guarantee :Rs. 12 Lakh not submitted.
DG sets 2x500 KVA and 1x250KVA and stack height 2m above roof of the acoustic enclosure.
	Legal opinion may be sought from Legal Cell.
	Opinion be sought from Legal Cell.

	9
	31053
	10-08-2009
	GANESHA INTERNATIONAL
	A-88
	WAZIRPUR INDUSTRIAL AREA
	S.S sink
	CTE : YES
Water Consumption : 100L/D
Waste Water generation : 
(a) Domestic effluent:  80L/D
(b) Trade effluent: NIL
Date of Commissioning: Dec. 2007
ETP :  NA.
STP :  No. 
Test Report (Water) within limit :  NA.
Test Report (Air) within limit : Yes
NMR submitted : NA.
	11.10.2010
This case was discussed in CMC(Orange) meeting dated 27.08.2010. Accordingly, SCN was issued on 21.09.2010 to M/s Ganesh International. Since no reply received, confirm closure directions to M/s Ganesha International. Issue SCN u/s 31(A) of the Air Act to M/s Shivam Plastic (plastic reprocessing unit) and M/s Suresh Bansal (Engg. unit) found during inspection.  
	CTE  granted and valid up to 03.12.2010
Stack monitoring report of APCS submitted on 16.06.2009
AR of ECS submitted on july 2009
Inspection conducted on 01.06.2010
	During the issuance of closure directions in view of CMC’s decision dated 11.10.2010, it was found that unit has already replied on 08.10.2010 in response to the SCN. The said decision was taken in absence of the reply. The decision requires modification. In view of the reply, ask the unit to submit Bank Guarantee of Rs. 50,000 under Air Act valid for one year and confirm its reply on an affidavit. If unit submits the same, consent to operate be issued.  
	Ask the unit to submit Bank Guarantee of Rs. 50,000 under Air Act valid for one year and confirm its reply on an affidavit. If unit submits the same, consent to operate be issued.  

	10
	34550
	19-07-2010
	SHARP MENTHOL INDIA LTD
	C-03
	SMA INDUSTRIAL AREA
	Mfg. of Menthol and its allied products.
	Year of establishment- June 2010.
	27.08.2010
Issue SCN for refusal of consent since unit has not applied for consent to establish
06.09.2010
Inspection be conducted. 
	Letter issued on 07.07.2010 
Reply received on 19.05.2010
Inspection conducted on 30.10.2010
Observation:'
Unit found operating,engaged in mfg of menthol crystals+ by products liquid blends.
Process involve is distallation,
blending & crystallization
	Clarification may be asked from CPCB because distilation is involved in process. 
	Ask clarification from CPCB because distilation is involved in process. 

	11
	29892
	13-05-2009
	DELHI METRO RAIL CORPORATION LTD.
	8, JANTAR MANTAR ROAD
	NC-ND
	Office
	BUA :  18910sq.m
EC : NA
Water Consumption :180KLD
Waste Water generation : 
(a) Domestic effluent:76.5KLD 
(b) Trade effluent: NIL
Total Project Cost : 80 crores
Date of Commissioning: 2010
	12.06.2009-SIT-II to inspect and report.
05.08.2010
Issue  consent to establish.
	Environmental Damages:NA
Bank Guarantee :NA 
3 DG sets of 1250 KVA proposed
Inspection conducted on  16.07.2009 and it was observed that
1. No construction activity observed at said plot.
2. Temporaray office and shed observe dat site both of which have been vacated.
3.Few full grown trees exists within site
4. Soem part of plot is used as parking area (back side of patel chowk metro station)
Letter issued on 11.09.2010
Letter recieved from SEIAA  on 15.11.2010
	Legal opinion may be sought from Legal Cell.
	Opinion be sought from Legal Cell.
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	12
	29606
	21-04-09
	SUSHIL ENTERPRISES
	B-8/4, PHASE-I
	BADLI INDUSTRIAL ESTATE
	ESTABLISH
	06.08.2009-Ask the unit to file its reply on affidavit along with photograph of channelisation system installed.
12.06.2009-Issue reminder for channelisation system and DJB permission for GW extraction.
	Mfg of PVC/plastic product
	07.05.2010
Case be considered after implementation of decision of Scrutinizing Committee.
	CTO granted and valid up to 25.07.2005
CTR refused on 14.07.2006
CTR applied 13.04.2007
CTR applied 23.07.2008.
	Recommended for grant of consent to establish.
	Issue consent to establish. 

	13
	28666
	 
	SHAKTI PLASTIC
	H-1207, DSIDC
	NARELA INDUSTRIAL AREA
	ESTABLISH
	28.01.2009- trainees, CMC to inspect and report
04.03.2009- call on 22.04.2009

Inspection done on 02.03.2009
	Mfg of plastic dana and plastic bags
	07.05.2010
Case be considered after implementation of decision of Scrutinizing Committee.

Issue SCN for refusal of consent and SCN for closure of the unit due to reprocessing of plastic scrap.
	CTO granted and valid upto 05.02.2009.
Reply of SCN for refusal and SCN u/s 31(A) of the Air Act received with stack monitoring report of PVC recycling unit with meeting the norms.
	Consult with Department of Environment regarding any new notification / directions w.r.t. ban of mfg. of polythene bags in Govt. of NCT of Delhi.
	Ask the unit to submit Bank Guarantee of Rs. 50,000 under Air Act valid for one year. If unit submits the Bank Guarantee, consent to establish with the condition that the unit will comply with the provisions of The Delhi Degradable Plastic Bag Act, 2000 envisaging the minimum thickness of plastic bag as 40 micron and size as 8" x 12" be issued. 

	14
	25146
	 
	M/s Nu-Lite Industries
(India)
	Plot no-F-1898, DSIDC 
Industrial Complex, 
	NARELA INDUSTRIAL AREA
	ESTABLISH
	20.03.2009-Ask the unit to apply for authorization under HWM Rules, file permission from Central Ground Water Authority for extracting the ground water and submit affidavit for installation of ETP. Call on 29.04.2009.
11.05.2009-Issue final reminder for full compliance of earlier CMC decision with direction to seek permission for ground water extraction from DJB in view of new orders. Call on 24.06.2009
24.06.2009-Ask the unit to file full compliance within 01 month. Call on 26.08.2009.
21.12.2009/22.12.2009-Inspection be conducted.

Inspection done on 21.04.2010. 
Observations:- 
1. ETP not found in operation 
2. No ECS provided in buffing activity area
	Mfg of hardware goods
with electroplating
	27.08.2010
Issue SCN u/s 31(A) of the Air Act and u/s 33(A) of the Water Act for closure of the unit.
	CTE applied on 
11.03.2008
	Ask the unit to submit Bank Guarantee of Rs. 50,000 each under Air Act and Water Act valid for one year. Also ask the unit to submit adequacy report of ECS installed over buffing section from empanelled consultant of DPCC. 
	Ask the unit to submit Bank Guarantee of Rs. 50,000 each under Air Act and Water Act valid for one year. Also ask the unit to submit adequacy report of ECS installed over buffing section from empanelled consultant of DPCC. 

	15
	34610
	 
	SONA ENTERPRISES
	G-988, DSIDC
	NARELA INDUSTRIAL AREA
	ESTABLISH
	 
	Mfg of  plastic dana and plastic products
	Inspection be conducted.
Inspection done on 14.12.2010.
OBSERVATIONS:
1. Construction work in the said plot was in progress.
2. No responsible person was available.
	Year of establishment-Aug 2010
	Recommended for grant of consent to establish.
	Issue consent to establish. 

	16
	32209
	 
	SETIA SOAP MILLS
	I-2131, DSIDC INDL COMPLEX
	NARELA INDUSTRIAL AREA
	RENEWAL
	26.05.2010-Issue consent to establish
27.04.2010-Issue SCN for refusal of consent.
25.01.2010-ask the unit to apply for CTE.
	Mfg of soaps.
	Inspection be conducted. 
Inspection done on 14.12.2010.
OBSERVATION:
1. Unit not found in operation.
2. As reported by the contact person unit was lying closed for last two months.
	CTE granted and valid upto 23.06.2011
CTO granted and valid upto 04.12.2006
CTR applied on 19.12.2006

Plot area:  203.4  sq.mt.
Trade Effluent:  NIL
DG:   NIL
	Reinspection be conducted.
	Reinspection be conducted.

	17
	 
	 
	DMRC, ETA Contractor office
	Near Race course Metro station, Behind Bunglow No.18 .
	 
	 
	 
	 
	On the basis of Complaint case inspection was done on 02.12.2010.
OBSERVATIONS:
1. The site in question visited on complaint by Sh. D.K. Batra Registrar Delhi Highcourt.
2. The cooling towers an integrated part of DMRC project of A.C. plant found installed behind the Bunglow of justice R. Bhatt delhi High Court. There are 3 Cooling towers, each having 2 sections. 2 D.G sets of capacity 750 KVA each also found installed with accoustic enclousers stack height is unadeguate.
3. DG sets & cooling towers are not in operation at the time of visit.
4. towers are installed by contractor M/S ETA and same will be handed over to DMRC within a month as informed.
	 
	Consent not applicable. Inform to PGRC accordingly. 
	Issue notice under Noise Rules. 
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	21135
	26-04-2007
	UPPAL HOUSING PVT. LTD
	MEHRAULI ROAD, VILLAGE CHANDANHOLA, TEHSIL HAUZ KHAS
	NC-S
	Residential Complex
	                       02.02.2009
As already decided in CMC meeting dated 06.11.2008, ask the unit to file the zonal plan of this area to confirm whether housing in rural area is permitted. Also ask the unit to file MCD sanctioned building plan. Call on 25.03.2009
                        25.03.2009
Call on 02.04.2009
                       02.04.2009
Issue final reminder. Call on 12.05.2009
                      15.06.2009
Ask the unit to file full compliance. Call on 12.08.2009

     06.01.2010
Inspection  by SIT be conducted and undelievered letter be sent to all 5 offices.
     27.08.10
Call for personal hearing before Member Secretary, DPCC since the unit has not responded the letter issued by DPCC and adequate information could not be gethered by the SIT during inspection.
	BUA :  40570.61 sq mt (As per EC)
EC : issued on 29.09.08
Water Consumption : 103 KLD
Waste Water generation : 104 KLD
(a) Domestic effluent: 75 KLD
(b) Trade effluent: 29 KLD
Total Project Cost :  110 Crores
Date of Commissioning: 2009.
Letter issued to all the five addresses on 05.02.10 for suvbmission of zonal plan of the area and the building plan sanctined by the MCD. One letter sent to the site office has been returned back. No reply received.
Inspection conducted on 13.07.10 and observations are:-
1. No construction activity found at site.
2. Many grown up trees exist within and at boundary site.
3. One concrete mixer,  pipes, ducts, barricades, iron boards, syntax tanks etc. also found lying at site. As informed by security guard, this material is lying at site past one month.
4. Two borewells exist at site.
5. Site in located on main Chhatarpur Road opposite to the site, Ara  farm is located.
6. No display board for identification of site is there,
7. No technical person was available at site.
8. Earlier one nursery used to exist at site which has been removed at present.
Letter dated 01.11.10 issued to the unit for personal hearing.
Unit submitted a representation on 16.11.10 without zonal plan of the area and the building plan sanctined by the MCD.
Inspection carried out by SIT on 01.12.10 & following were observed:
1. No construction activity found at site.
2. Many grown up trees exist within and at boundary site.
3. One concrete mixer,  pipes, ducts, barricades, iron boards, syntax tanks etc. also found lying at site. As informed by security guard, this material is lying at site, as was also observed during inspection on 13.07.10.
4. Two borewells exist at site.
5. Site in located on main Chhatarpur Road opposite to the site, Ara  farm.
6. No display board for identification of site.
7. The inspection was conducted in the presence of Sh. Mehtab Khan- Manager Corporate Affairs, M/s Uppal's & Sh. Kalid (Sr. Manager , M/s Uppal's).
	Seek clarification from the DDA and MCD regarding conformity of the unit with a copy of the project proponent. 
	Seek clarification from the DDA and MCD regarding conformity of the unit with a copy to the project proponent. 

	19
	 
	 
	Expansion of Educational Institution -IIT Delhi
	 
	NC
	 
	 
	Letter dated 15.11.10 was received from MS, SEIAA regarding suitable legal action against the unit as the project has voilated the EIA Notification, 2006 since the construction has been started prior to EC. It has also been mentioned in the letter that EC has been issued on 11.11.10.
As per records, no consent application has been recieved from the project proponent.
	Issue SCN u/s 21/22 of the Air Act and u/s 25/26 of the Water Act for not applying for consent to establish.
	Issue SCN for violation of section 21of the Air Act and for violation of section 25/26 of the Water Act and for prosecution under EPA.


