 Minutes of the 124th meeting of the Committee Constituted for Deciding the Consent under Orange Category, held on 22.07.2009 in the Conference Room of Chairman, DPCC.

   The following persons attended the meeting:

Sh. Dharmendra, Chairman, DPCC

Dr. A.K.Ambasht, Member Secretary, DPCC

Sh. B. Kumar, SEE, DPCC

Sh. M. Dwarakanth, SSO, Dept. of Env,. GNCTD.

EEs  of CMC –  I, II &  III.

AEEs & JEE of CMC – I, II & III.
AEE, PGRC.
In addition to above, Sh A.N. Singh Scientist, Deptt. of Environment and Trainees of CMCs, PGRC & SIT also attended the meeting.

Following decisions were taken in the said meeting:- 

Agenda Item No.1-   Personal Hearings

Aggarwal Prestige Mall, Plot No 2, Road No 44, Facility Centre, Rani Bagh Road, Pitampura
The unit came for personal hearing today.  The representative stated that the construction is at preliminary stage and they are not in position to plan the waste water treatment system.  The Committee deliberated on the issue and directed the unit to install the STP of enough capacity on the basis of the fact and figures mentioned in its affidavit filed earlier. The Consent to Establish be extended for one year subject to the deposition of the requisite consent fee. Call on 16.09.2009.
Vishal Retail Ltd., A Block, plot no.1, Ground Floor, Ph-2, Opp. Satyawati College, Ashok Vihar, New Delhi

The unit came for personal hearing today. Unit has submitted a representation along with affidavit stating that it has closed the unit. In view of the representation, no action is required at this stage. 
Vishal Retail Ltd.,  E-6 Outer Ring Road, Prashant Vihar, New Delhi

The unit came for personal hearing today. Unit has submitted a representation along with affidavit stating that it has closed the unit. In view of the representation, no action is required at this stage. 

Vishal Retail Ltd.,  D-2/21 Krishna Nagar, Delhi

The unit came for personal hearing today.  Unit has submitted a representation requesting one month time to apply for Consent to Operate. 15 days time allowed for the same. Call on 16.09.2009.
Vishal Retail Ltd.,  E-367, Nirman Vihar, Vikas Marg, New Delhi-92

The unit came for personal hearing today. Unit has submitted a representation requesting one month time to apply for Consent to Operate. 15 days time allowed for the same. Call on 16.09.2009.

Vishal Retail Ltd.,  A-18, B Block, Mihan Co-Operative Society, Mathura Road, New Delhi

The unit came for personal hearing today.  Unit has submitted a representation requesting one month time to apply for Consent to Operate. 15 days time allowed for the same. Call on 16.09.2009.

Vishal Retail Ltd.,  B-374, Meera Bagh, Paschim Vihar, New Delhi

The unit came for personal hearing today. Unit has submitted a representation along with affidavit stating that it has closed the unit. In view of the representation, no action is required at this stage. 

Executive Engineer, Rohini Project Division - 9, proposed the Construction of Slum houses near STP, Sector - 26, Phase - IV, Rohini,Delhi – 85

The unit came for personal hearing today and informed to the Committee that construction is at very preliminary stage. Contracts etc. are still to be awarded. The unit was directed to submit its statement on an affidavit. Call on 16.09.2009.

Vishal Retail Ltd., 10209/10210, Padam Singh Road, karol Bagh, Delhi

The unit came for personal hearing today.  Unit has submitted a representation requesting one month time to apply for Consent to Operate. 15 days time allowed for the same. Call on 16.09.2009.

District Court, Saket, New Delhi
The unit came for personal hearing today and stated that the construction work is in progress. Unit was directed to submit the copy of environmental clearance, item-wise compliance affidavit of environmental clearance’s conditions for the construction phase and apply for consent to operate at appropriate stage before making the project operational. Call on 16.09.2009. 

Instyle Motel Services (P) Ltd., KH. No 8/9, 5/21/1/2, 8/1/, 8/10, Airport Road, Samalkha

The unit came for personal hearing today. Unit stated that they do not have the banquet hall but the banquet lawn. It was made clear that activity being the same, waste water is bound to be discharged. In its Consent to Establish application, the unit has mentioned the date of commencement of the project as 15.04.2009 but it was found that this is the date of operation. Unit was directed to submit the permission from DJB for ground water extraction. Unit was also directed to apply for Consent to Operate along with adequacy report of STP from the empanelled consultants of DPCC within 01 month. Call on 16.09.2009. 

Agenda Item No.2-   PGRC cases.

This agenda except for item no 1 taken as table agenda could not be taken up by the Committee, due to paucity of time, and it was decided to take up the same in the CMC meeting to be held on 16.09.2009.

Agenda Item No.3-   Special reference cases.

This agenda could not be taken up by the Committee, due to paucity of time, and it was decided to take up the same in the CMC meeting to be held on 16.09.2009.

Agenda Item No. 4-   Shopping Mall cases


This agenda could not be taken up by the Committee, due to paucity of time, and it was decided to take up the same in the CMC meeting to be held on 16.09.2009.

Agenda Item No. 5- Construction Projects cases

This agenda could not be taken up by the Committee, due to paucity of time, and it was decided to take up the same in the CMC meeting to be held on 16.09.2009.

Agenda Item No. 6-  Cases of 514 units in respect of waste water discharge upto 1000 Lt/day out of about 6000 pending consent applications.

This agenda could not be taken up by the Committee, due to paucity of time, and it was decided to take up the same in the CMC meeting to be held on 16.09.2009.

Agenda Item No. 7-  CBI reference cases.
This agenda could not be taken up by the Committee, due to paucity of time, and it was decided to take up the same in the CMC meeting to be held on 16.09.2009.

Agenda Item No. 8-  OIA cases.

This agenda could not be taken up by the Committee, due to paucity of time, and it was decided to take up the same in the CMC meeting to be held on 16.09.2009.

Agenda Item No. 9- Cases of prosecution filed by DPCC.
Decisions taken with respect to this agenda are tabulated and annexed as Annexure – 1

Agenda Item No. 10-  Cases of Sagar Ratna Restaurants
This agenda could not be taken up by the Committee, due to paucity of time, and it was decided to take up the same in the CMC meeting to be held on 16.09.2009.

Table Agenda Item No 1: M/s Bhandari Farm, Chattarpur Temple Road, Chattarpur, Mehrauli

The unit appeared before the Consent Management Committee.  Unit was directed to submit an affidavit stating that the premises will be used only for Satsang purposes and no commercial activity will be carried out to confirm its averments during the hearing. Call on 16.09.2009.
Table Agenda Item No 2: DLF Retail Developers Ltd. (Construction of Shopping Complex named as DLF South Court  at Plot No A1 & P2B, Saket Place, Saket, New Delhi )
File be put up administratively. 

Table Agenda Item No 3:  Beverly Park Maintenance Service Ltd at Plot No. 3, Vasant Kunj Mall, Vasant Kunj, Delhi

File be put up administratively with a legal examination. 
Table Agenda Item No 4:  M/s Wisdom Poly Products Pvt.Ltd., J-4, Udyog Nagar Indl. Area, Delhi
The decision to grant Consent to Establish taken on file ratified by the Committee. Issue renewal of consent also. Call on 16.09.2009.

Table Agenda Item No 5:  Sanjay Plastic Udyog, Shop No 19/1, Azad Market Shop, Rani Jhansi Road, Delhi
Put up this case along with the similar cases. Cal on 16.09.2009 
Table Agenda Item No 6:  Pollution control from Coal Fired Boilers. 

A proper reply may be sent quoting the decision taken by DPCC Board for installation of ESP with coal fired boiler or to convert it into the oil fired one. 
Table Agenda Item No 7:   Poorvi Vishwas Nagar Samiti Vs. UOI & Others

File be put up administratively immediately.

Meeting ended with thanks to the Chair.


	Sno.
	Name
	Activity
	Facts of The Case
	Earlier Decision
	Action Taken

	1
	Bhandari Farm, Chattarpur Temple Road, Chattarpur, Mehrauli
	Farm house
	The unit called for personal hearing on 30.09.2008. The unit did not come. However, a representation was received from the unit. As decided in CMC on 30.09.08, the unit was inspected by SIT on 29.10.08.  A letter was issued on 20.11.08 for submission of structural and built up area drawing submitted to DDA/MCD. Final reminder issued to the unit on 14.01.09. Reply received on 19.01.09 and request to send copies of I/R. No information regarding our letter.Letter issued to the unit regarding submission of building plan on 10.02.09, 20.04.09 and 14.05.09. reply received from the unit on 02.06.09 and requested to send copies of I/R.
	Decision on 23.04.09: Call on 03.06.09.
Decision on 03.06.09: AEE, PGRC to inspect and inform the unit either he should submit its reply or come for personal hearing. Call on 22.07.2009.
	During inspection construction work is going on. Mr. Jaswant Singh mat & agree to represent on behalf of Bhandari Farm as he informed he is contractor & look after the construction work as land lady's very old.

	2
	Complaint against 
Oldy Goldy Copier, 7/31, Ansari Road, Dariya Ganj, Delhi.
	Reparing of Photocopy m/c
	With reference to a public complaint received from residence of Gali no. 7 an inspection was carried out by Engineer Trainee on 02.07.08. During inspection unit is engaged in trading and repairing of Photocopy m/c. Blower is used inside the premises. Letter issued to the unit on 10.02.09 and a reply received  on 24.02.09 through an Advocate on behalf of  M/s Oldy Goldy which states that the said unit is engage in trading of photocopiers not in repairing activity. Letter issued to the unit on 20.04.09 and 26.06.09 regarding submission of affidavit. 
	Decision on 23.04.09: Call on 03.06.09       
Decision on 03.06.09:  Issue final reminder to M/s Oldy Goldy Copier. Call on 22.07.2009.           
	Letter issued to the unit on 26.06.09.

	3
	Executive Club 439, Village Sahurpur,New Delhi-110074.
	Farm House
	Inspection was carried out by Trainee Engineer on 03.07.08. As decided in CMC on 13.08.08, the file was put up admistratively and as approved,  letter was issued to the unit on 09.09.08 regarding  installation of STP, reuse of the treated water, apply for Consent to Establish, submit permission from CGWA for using the ground water and correct all the deficiencies. The unit submitted it's reply and requested for grant of three months time to do the needful. As decided in CMC on 30.09.08, letter was issued to the unit on 17.10.08 to file adequacy report , noise monitoring report of D.G set and CGWA clearance.The unit submitted its reply on 27.10.08 and informed that two D.G Sets have been disposed off, there is no working tubewell etc. Final reminder for full complaince issued on 17.11 .08.Reply received on 01.12.08 alongwith certificate of 82.5 KV D.G Set issued by Bhaskar Powr Projects Ltd.  However , nothing has been mentioned regarding adequacy report, noise monitoring report  and clearance from CGWA.Letter issued to the unit on 24.12.08.unit came fro personal hearing on 28.01.09 and has to file following document by 31.03.09 and a letter was issued on 10.02.09 .Unit replied on 30.03.09.      
 - regarding NMR of DG set obtained from DPCC.                                                                                                                                                          
- and unit has order alfa ecocare Pvt. Ltd. for installation of STP.                                                                                                                               
- no CGWA clearence is require unless we decide to intall a tubewell.                                                                                                                          
- Have not applied for CTE but have sent some certificate regarding CTE.
reply received on 28.05.09 and unit have applied for CTE.
CTE applied on 25.05.09.
	Decision on 23.04.09: Call on 03.06.09
Decision on 03.06.09: Ask the unit to submit adequacy report from empanelled consultant of DPCC,  DJB clearance because as per inspection report tubewell was existing at the site and also to confirm removal of D.G. Set on an affidavit. Call on 22.07.2009
	Letter issued to the unit on 30.06.09.

	4
	M/s Sunproof Electrometer, 641/3, RZ Block, Gali No. 4, Upper Anand Parbat, Delhi
	Mfg. of rubber products
	An inspection was carried out by engineer trainees on 09.03.09 w.r.t. public complaints. During inspection, unit is engaged in Mfg. of rubber products. Air pollution was observed. Letter issued on 20.04.09  regarding correction of deficiencies. 
The following deficiencies were observed during the inspection: -
(i) unit is required to install air pollution control devices. 
(ii) unit is required to provide acoustic enclosure and adequate stack height with the D.G. Set.
Reply received from unit on 22.04.09 requested to grant one month time to correct the deficiencies. Letter issued on 14.05.09. Reply received on 29.05.09 and informed that deficincies has been rectified.                                                          
CTO(Renewal-I)-refused, CTO(renewal-II) applied on 24.11.06
	Decision on 23.04.09: Call on 03.06.09
Decision on 03.06.09: Ask the unit to confirm removal of D.G. Set on an affidavit. Call on 22.07.2009
	Letter issued to the unit on 30.06.09. Reply received on 14.06.09 and unit has submitted affidavit.

	5
	M/s J.B.Motors (Honda Workshop), 1/1, Railway Site, Indl. Estate, New Rohtak Road, Anand Parbat Chowk.
	Workshop  CMC- I
	A copy of notice of consumer received from DJB and informed that the unit is discharge untreated liquid waste directly into the drain. During inspection following were the observation :                                                                                                                                                               - unit found operating and engaged in Two wheelers                                                                                                                                                    - unit has provide ETP but found in Defuntional condition                                                                                                                                        - unit is not compling with HWM                                                                                                                                                                              - unit has provided 4 exhaust fan with no channelization or duct is provided                                                                                                                 - unit has 1 DG set of 18 KVA with acoustic enclosure and stack height.                                                                                                                                  - one open drain is provided to collect the waste oil.                                  
Notice issued on 14.05.09 under all the three acts. Reply received on 27.05.09 and informed that the deficiencies has been rectified and unit applied for adequacy report to DCE.           
CTE applied on 19.11.07
	Decision on 12.03.09: 
Trainee, PGRC to inspect and report. Call on 22.04.2009
Decision on 23.04.09: Issue SCN for closure under all the three acts based on the deficiencies found during the inspection. Call on 03.06.2009. 
Decision on 03.06.09: Time allowed. Ask the unit to submit the full compliance within 01 month. Call on 22.07.2009
	letter issued on 30.60.09.

	6
	M/s Chaudhry Misthan Bhandar, 7328, Prem Nagar, G. T. Road, Shakti Nagar, Delhi-07.
	Sweet Shop
	A copy of notice of consumer received from DJB and informed that the unit is discharge untreated liquid waste directly into the drain. During inspection following were the observation :                                                                                                                                                        - Unit found operating and engaged in manufacturing of sweets and namkeen at   the 1st floor of the primises.                                                                           
-Wastewater generated discharge into the sewer with out treatment.                                                                                                                           - 4 exhaust fan are provided in operational area.  
Letter issued on 14.05.09 regarding correction of deficiencies and apply for CTE. Reply received on 29.05.09 and seeks time upto 15.12.09 to rectify the deficiency.
	Decision on 23.04.09: Ask the unit to correct the deficiencies observed during the inspection and submit compliance on an affidavit and also to apply for Consent to Establish. Call on 03.06.2009. 
Decision on 03.06.09: Issue final reminder. Call on 22.07.2009
	Letter issued to the unit on 26.06.09. Reply received on 07.07.09 and informed through affidavit regarding compliance will submit by 15.12.09.

	7
	M/s Junction "36", (Party Hall), Junction of Joshi Road and New Rohtak Road, Karol Bagh, New Delhi.
	Party Hall
	A copy of notice of consumer received from DJB and informed that the unit is discharge untreated liquid waste directly into the drain. During inspection following were the observation :                                                                                                                                                              -The premise is used as party hall                                                                                                                                                                  - No chennelissation and exhaust fan was provided in the kitchen                                                                                                                                  - One tandoor placed at the roof top                                                                                                                                                                         - One DG set of 125 KVA placed at the ground floor with inadequate stack height and acoustic enclousure.                                                                                 
 -  Wastewater generated discharge into the sewer with out treatment.  
Letter issued on 14.05.09 regarding correction of deficiencies.
	Decision on 23.04.09: Ask the unit to correct the deficiencies observed during the inspection and submit compliance on an affidavit and also to apply for Consent to Establish. Call on 03.06.2009. 
Decision on 03.06.09: Issue final reminder. Call on 22.07.2009
	Final reminder issued on 30.06.09.

	8
	A public complaint has been received through C.M. Office. Against M/s Moti Mahal Delux Restaurant & Bar
	Restaurant & Bar
	A public complaint of Sh. P.R. Nair has been received through L.G. Office. Inspection done on 05.06.2008 with the help of Police as initialy the  nephew of owner Sh. Harpreet Singh refused to allow the officials to conduct inspection. The details are as under:- (i) This is a Restaurant Cum Bar having seating capacity 50 nos. (ii) Adequate stack height has not been provided with the chanelisation system installed in the kitchen and the same found to be bent downwards (iii) Proper oil and grease trap has not been provided to treat the trade effluent generated from the process. The unit has provided only a  simple tank having two portions which were filled with oil and grease. (iv) It was reported that the unit is having valid MCD lincience (valid upto 31.03.2011) and applied for renewal of certificate for eating house to Delhi Police (valid upto 31.12.2006). (v) Adequate stack height and acoustic enclosure has been provided with the DG set of 50 KVA. But no noise monitoring report was available. (vi) Not applied for consent. 
Letter issued to the unit on 02.07.08 and 04.09.08. for submission of CTE, Affidavit for 
correction of defficiencies, and submission of BG of Rs 50,000 each u/s Air and Water 
Act. Letter issued to the unit on 12.01.09 for submission of BG and CTE. Letter issued 
to the unit on 20.04.09 regarding correction of deficiencies and apply for CTE.                                           
	Decision on 12.03.09: Unit came for personal hearing and it claim that it has contacted the consultant to get the oil & grease trap properly installed. The unit may corrct all the defficienies noted during inspection and submit an effluent test repot from any of the approved laboratories of DPCC by 22.04.09. The unit to file CTE also. 
Decision on 23.04.09: Call on 03.06.09
Decision on 03.06.09: Issue final reminder. Call on 22.07.2009
	Letter issued to the unit on 30.06.09. Reply received on 15.06.09 and unit unit applied for CTE on 22.04.09 and deficiencies has been rectify.

	9
	Premises No. 3303, farahtullah Street , Kucha pandit, Lal Kuan
	Electroplating work
	A complaint was received against a electroplating factory at premises No. 3303, farahtullah Street , Kucha pandit, Lal Kuan delhi during inspection unit was found locked.One more complaint received from complainant through PGC on 01.06.09.
Inspection carried out by Engineer Trainees. During the inspection:
-Unit found operating in residential/ non-conforming area.
-Unit is engaged in Zinc Electroplating
-No ETP/ECS.
Wastewater is directly discharge into the sewer.
	Decision on 23.04.09: Trainee, PGRC to reinspect and report. Call on 03.06.2009. 
Decision on 03.06.09: Send the name to concerned Dy. Commissioner for effective closure. Call on 22.07.2009
	Final reminder issued on 02.07.09.One more complaint has been received from the complainant.

	10
	Complaint received from Viskarma nagar resident walfare association forwarded by EPCA for noise and ambient monitoring at viskarma nagar
	Air & Noise Monitoring
	As per CMC decision held on 03.06.09, an inspection carried out by DPCC officals on 02.07.09, 08.07.09 & 13.07.09 along with complainant (as the unit is not traceble and no proper address is mentioned in the complaint)and following are the observation:
(1) M/s Hindustan Foils Adhesive, 340/2A, Gali no.2, Friends Colony Indl. Area: Unit found closed.
(2) M/s Laxmi Cables Shambhu Nath Compound, Gali No.8, Friends Colony Indl. Area: No such unit exist at the above said address.
(3) M/s Gini Plastics Cooperation, 421C, Gali No.6, Friends Colony Indl. Area: unit engaed in mfg. of PVC dana nad wire. No Chennelization system provided in the processing area. Applied for CTE on 19.01.09.
(4) M/s Frystal Polymers, 495,Shambhu Nath Compound, Gali No.8, Friends Colony Indl. Area:Unit is engaged in mfg. of perform bottle. No pollution observed. Whereas no unit name Dhenerva exist in the premises. CTE appllied for 08.04.09.
(5) M/s Gampal Rollers Mills, 340/2, Friends Colony Indl. Area:Unit is not found.
(6) M/s Rathi Plastics, Gali No.5, Friends Colony Indl. Area: As informed unit shifted
 from the unit.
(7) M/s Master India Pvt. Ltd., Plot No.4, Gali No.5, Friends Colony Indl. Area: Unit 
found closed. whereas a unit namely M/s Pushpanjli Enterprises was found operating just 
adjecent to the above mentioned unit did not allow to inspect the premises.
(8) M/s PRG International Pvt. Ltd., B-43, Jhilmil Indl. Area: Unit found engaed in mfg. 
of celling fans, stamping & lemination. Unit has 02 D.G. set of 125KVA each with acoustic 
enclosure and adequate stack height. Noise was observed in operational area. CTE 
applied on 08.11.07.
(9) M/s Rajender Plastics, Gali No.4, Friends Colony Indl. Area: No such unit exist.  
	 
	 

	11
	M/s Brooklyn Engineers (I) Pvt. Ltd., 493, Patparganj Indl. Area, Delhi-92. 
	Servicing of car
	A public complaint was received, the site was inspected by trainee Engineers on 01.08.08. As approved notice for closure u/s 31(A) of Air Act, u/s  33 (A) of Water Act and u/s 5 of EPA was issued. Unit has submitted reply that deficiencies has been rectified. As decided by CMC, letter was issued to the unit on 25.09.2008 for submission of affidavit for correction of all the deficiencies, fresh adequacy report of the ETP, confirmation regarding applying for authorization under HWM Rules and Bank Guarantee of Rs. 50,000 each under all the three Acts valid for one year.
Final reminder issued to the unit on 12.11.08. Letter issued to the unit on 16.12.08. Unit submitted its reply on 10.12.08 and submit fresh Adequacy report only, nothing has been mentioned regarding BG and affidavit. Letter issued on 09.02.09. Letter issued to the unit regarding submission of Bank Gaurantee on 12.05.09.
CTE- not applied CTR- applied on   13.02.06. HWM (Renewal)- applied on 29.10.07.
	Decision on 23.04.09: Unit came fro personal hearing and promised to submit Bank Gaurantee as directed earlier. Call on 03.06.09.
Decision on 03.06.09: Issue fresh SCN u/s 31(A) of the Air Act, u/s 33(A) of the Water Act and u/s 5 of EP Act.  Call on 22.07.2009.
	SCN issued on 01.07.09. 

	12
	Complaint against PVC market, Tikri kalan, mundka, delhi.
	manufacturing of PVC pipes.
	A public complaint was received, the site was inspected by trainee Engineers on 29.05.09. During inspection following were observations:
- Unit namely M/s Royal industries was found operating and engaged in PVC pipes at the groud floor of the premises.
- No ECS provided in the premises. 
- 1 D.G Set of 82.5 KVA found without acoustic enclosure and adequate stack height.
	Decision on 03.06.09: Send the name of unit to concerned Dy. Commissioner for effective closure. Call on 22.07.2009
	Final reminder issued on 30.06.09.

	13
	M/s Tuli generators, Shop No. 5, cloth Mkt. near Dr. pritam Singh , sadar thana road, delhi.
	repairing of generators
	A public complaint was received , the site was inspected by trainee engineers on 27.05.09. During inspection following were the observations:
- Unit namely M/s Tuli generators were found operating and engaged in repairing of generators at ground floor of the premises.
- During repairing smoke was observed, ,no ventilation was provided in the shop and smell observed.
- repairing of portable generators is done in shop whereas, repairing of big generators is done at the respective sites.
- No oil spillage was observed. 
	Decision on 03.06.09: Send the name of the unit to Commissioner of Industries for necessary action with confirmation that unit came into existence after 1990. Call on 22.07.2009
	Final reminder issued on 30.06.09.

	14
	R.K Sharma,B-53, Double Story, Near police colony, sadar bazar, Delhi -06
	 
	A public complaint was received , the site was inspected by trainee engineers on 27.05.09. During inspection following were the observations:
- No industrial activity was observed and premises was found vacant.
	Decision on 03.06.09: The complainant may be indicated the facts of the inspection with a copy to CM office. Call on 22.07.2009
	Letter  issued on 20.07.09.

	15
	complaint against polluting units engaged in dying and drycleaning activity Mayapuri Indl. Area.
	dyeing and drying activity
	As per public complaint, an inspection was carried out by trainee engineers on 29.04.09. During inspection following were observations:
(1) M/s Modern garments
- unit found operating and engaged in washing and dyeing of readymade garment
- ETP installed at ground floor and found working.
- applied CTO (renewal) and HWM authorization.
- 1 D.G Set of 125 KVA with acoustic and adequate stack height .as NMR of this D.G Set.

(2) F-113, phase II , mayapuri Indl. area.
- unit found operating at 2nd floor of the premises and engaged in dyeing and washing of readymade garments.
-No ETP installed, wastewater dicharged directly into drain.

(3)F-110, Phase II, Mayapuri Indl. area.
- unit did not allow to do inspection.
- as informed by the locals unit engaged in dyeing and dry cleaning activity.

(4) C2/40 , Phase I, Mayapuri Indl. Area
-  no such adress is avalable in Mayapuri , phase -I.
	Decision on 03.06.09: (i) M/s Modern Garments : Ask the unit  to apply for Consent to Establish.
(ii) F-113, Phase-II, Mayapuri Industrial Area, Delhi :Issue SCN u/s Air & Water Acts for closure.
(iii) F-110, Phase-II, Mayapuri Industrial Area, Delhi : Issue SCN u/s Air & Water Acts for closure. 
(iv) C-2/40, Phase-I, Mayapuri Industrial Area, Delhi : No action as the address does not exist. 
Call on 22.07.2009.
	Letter and SCN issued on 10.07.09.

	16
	A letter received from DJB against restaurant in defence colony.
	Restaurant 
	An inspection was carried out by SIT on 25.02.09 w.r.t. a a letter received from DJB. During inspection, following 21 restaurant were found :
(1) M/s Angels I my Kitchen.
(2) M/s Gola Southend.
(3) M/s Moti Mahal Delux.
(4) M/s Swagat restaurant & bar.
(5) M/s Barista 
(6) Sagar Ratna( North indian)
(7) M/s Sagar Ratna
(8) M/s 45 Chinese & thai restaurant
(9) M/s Moti Sizzlers
(10)M/s Aka Saka
(11)M/s Little Italy
(12)M/s Mocha coffee & conservations
(13)M/s Chill seasons
(14)M/s Arabian Delites
(15)M/s SOI -46
(16)M/s MOET Bar-be-que
(17)M/s Sequel
(18)M/s Kent's
(19)M/s Colonel's Kalrilz
(20)M/s Liquid Kitchen
(21)M/s MB's
	Decision on 03.06.09: Ask the unit to apply for Consent to establish and to correct the deficiencies observed during the inspection. Call on 22.07.09.
	Letter issued on 13.07.09.

	17
	M/s Auto Needs India Pvt. Ltd., Plot no. 507, FIE, Patparganj Indl. Area
	Automobile workshop
	Letter received from the landlord regarding desealing of his premises as the unit namely M/s Auto needs  Pvt. Ltd. shifted from the premises and requested to reconnect the power supply/water supply. 
	Decision on 03.06.09: Ask the owner of the premises to submit the ownership details of the electricity / water supply connection which has been disconnected along with documentary proof. Call on 22.07.2009.
	Letter issued to the owner on 18.06.09. 

	18
	Complaint against M/s Cool All Beverage, Plot No. 242, Patparganj Indl. Area, Delhi
	Mfg. of Ice Cubes
	Unit was inspected by Engineer Trainees on 17.06.09 w.r.t a public complaints. During the inspection, 
1. Unit found in operational and engages in mfg of Ice-cubes,
2. Noise was observed from the machines (inside the premises).
3. Unit is using Ground water without any permission from CGWA/ DJB.
4. Unit has applied CTR on 25.05.07.
	 
	 

	19
	Poorvi Vishwas Nagar Samiti Vs. UOI & Others
	 
	As per high Court order a survey is to be carried out to identify the industries existing in vishwas nagar within three months from 28.04.09. Report is to be submitted before the next date of hearing i.e. 17.09.09. A letter received from COI on 25.05.09 that work should get started by DPCC and an inspector from COI and SDM have been alloted to assist in this survey. Whereas a letter received from SDM that COI should clarify who to assist the survey.
	Decision on 03.06.09: A suitable reply may be sent to Commissioner of Industries again clarifying that the basic responsibility to carry out the survey lies with them. However, DPCC has been directed to assist for which DPCC is ready to do the needful. Office of Commissioner of Industries be asked to give suitable action plan for the survey. Call on 22.07.2009.
	Letter issued to on 26.06.09 regarding survey of Industries in Vishwas nagar in reference to the honorable High court order dated 28.04.09 and informed them that DPCC has been directed to assist and they should take necessary action for the survey. DPCC ready to give full coorporation. No reply received.
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	Park Balluchi Restaurant, Inside Deer park, Hauz Khaz.
	restaurant
	Unit was inspected by Engineer Trainees on 09.07.09 w.r.t a public complaints. During the inspection, 
1. Premises used as a restaurant of 88 seats.
2. Proper channelisation provided in the kitchen area.
3. ETP and oil/grease trap provided in the premises, restaurant doesnot complying with HWM Rules. 
4. 1 D.G Set of 82.5KVA installed in the premises with acoustic enclosure and proper stack height.  
5. Unit not applied for CTE/CTO.
	 
	 


	Sl No.
	Ref. No
	Title of the case
	Address of the unit
	Next date of hearing
	Decision taken in review meeting of Legal Cases on 17/19.09.07 
	ATR
	Decision of Chairman’ review dated 20.10.2008
	Action taken Report
	Proposed action
	Consent Status/Remarks
	Earlier decisions
	ATR / Remarks
	Decision on 22.07.2009

	1
	1
	M/s Atul Engineering
	H-8 udyog nagar indl. Area delhi-41
	13.05.2009 for pre-charge evidence
	The case should be vigorously pursued by ALO  and the concern counsel for effective prosecution 
	Counsel has been informed about the decision
	Not enough. Latest status of each case on file soon
	File put up on 30.10.2008. File received back from MS with the direction to put up in review meeting
	Decision dated 17/19.09.2007 to follow
	CTE issued on 05.06.2007
CTO(R) issued on 15.06.2006 valid upto 19.09.2008
Authorization issued on 15.07.2004
Applied for renewal on 06.10.2006
	              21.01.2009
Ask the unit to apply for renewal of consent. Call on 25.02.2009
              25.02.2009
Issue final reminder. Call on 02.04.2009
             02.04.2009
Call on 22.04.2009
             03.06.2009
Issue final reminder. Call on 22.07.2009
	Final reminder issued.
Unit has applied for Renewal of Consent on 29.06.09.
	SIT-I to inspect and report. Call on 16.09.2009

	2
	2
	M/s Bright Bar
	B-16 Gali no. 8 Anand parbat indl. Area n.d-5
	13.05.2009 for pre-charge evidence
	The case should be vigorously pursued by ALO  and the concern counsel for effective prosecution
	Counsel has been informed about the decision
	Not enough. Latest status of each case on file soon
	File put up on 30.10.2008. File received back from MS with the direction to put up in review meeting
	Decision dated 17/19.09.2007 to follow
	Applied for CTO on 24.01.2006 vide I.D. No. 17577.
Authorization issued on 15.07.2004
Applied for renewal on 04.08.2006 vide I.D. No. 3138.
	             21.01.2009
Ask the unit to apply for Consent to Establish. Call on 25.02.2009
               25.02.2009
Issue final reminder. Call on 02.04.2009
             02.04.2009
Call on 22.04.2009
              03.06.2009
Issue final reminder. Call on 22.07.2009
	Final reminder issued.
Reply awaited.
	Wait for policy decision on redevelopment.

	3
	3
	M/s Mandagni rainbow
	A-89 ph-III Mangolpuri indl area.
	13.05.2009 for pre-charge evidence
	The case should be vigorously pursued by ALO  and the concern counsel for effective prosecution
	Counsel has been informed about the decision
	Not enough. Latest status of each case on file soon
	File put up on 30.10.2008. File received back from MS with the direction to put up in review meeting
	Decision dated 17/19.09.2007 to follow
	Applied for CTO in Feb 05.
	                  21.01.2009
Ask the unit to apply for Consent to Establish. Call on 25.02.2009
                 25.02.2009
Issue final reminder. Call on 02.04.2009
                 02.04.2009
Call on 22.04.2009
               03.06.2009
Refuse conent. Call on 22.07.2009
	As per CMC decision, consent refused.
	SIT-I to inspect for decision on delisting. Call on 16.09.2009

	4
	4
	M/s H.P foundry
	9/102, APIA, New Delhi-5
	Proceeding abated on 19.11.2008 as accused expired
	The case should be vigorously pursued by ALO  and the concern counsel for effective prosecution
	Counsel has been informed about the decision
	Not enough. Latest status of each case on file soon
	File put up on 31.10.2008. File received back from MS with the direction to put up in review meeting
	No action.
	Applied for CTO (R) on 25.09.2008
Authorization issued on 15.07.2004.
	     21.01.2009
Call on 25.02.2009
         25.02.2009
Call on 02.04.2009
         02.04.2009
Call on 22.04.2009
         03.06.2009
Call on 22.07.2009
	 
	Wait for policy decision on redevelopment.


