 Minutes of the 91st meeting of the Committee Constituted for Deciding the Consent under Orange Category, held on 23.12.2008 in the Conference Room of Chairman, DPCC.

   The following persons attended the meeting:

1. Sh. J. K Dadoo, Chairman DPCC

2. Sh. Anil Kumar, Member Secretary, DPCC

3. Sh. S.K.Gupta, Head Chemical Engineering Deptt. ,IIT Delhi 

4. Sh. B. Kumar, SEE, DPCC

5. Sh. M. Dwarakanth, SSO, Dept. of Env,. GNCTD.

6. EEs  of CMC – I, II & III / PGRC.

7. AEEs and JEE of CMC – I, II & III.

Following decisions were taken in the said meeting:- 

Agenda Item No.1-   Personal hearings 
(i) Prithvi Sound Products Company (P) Ltd. (KLJ Tower North), Plot No B-5, District Centre, Wazirpur, Delhi
The unit came for personal hearing today. It claims that it has placed an order for STP which will be installed within 03-04 months. Let the unit file an affidavit to this effect. Call on 07.01.2009.
(ii) IRCON International Limited, Plot No. C-4 District Centre, Saket, New Delhi
The unit came for personal hearing today. It assures that it will install the STP within 03 months. Call on 21.01.2009 for first interim report of progress made in this regard. Call on 21.01.2009.

(iii) Jindal Biochem (P) Ltd., Karkardooma, District Centre, near AGCR Colony, Delhi
The unit came for personal hearing today.  It seeks time of 60 days to comply with the CMC’s decision. Call on in the last week of February, 2009 for compliance. 
(iv) Best Park View, Plot No 14, Sector-20, Dwarka, New Delhi by Best City Developers India Private Limited
The unit did not come for personal hearing today and sought time. Call for personal hearing on 21.01.2009 at 5.15 PM.

(v) Best Green View, Plot No 26, Sector-20, Dwarka, New Delhi by Best City Developers India Private Limited
The unit did not come for personal hearing today and sought time. Call for personal hearing on 21.01.2009 at 5.30 PM.

(vi) The Mira , 1 & 2 Ishwar Nagar, New Delhi
The unit came for personal hearing today.  It has filed an adequacy report for  STP of 80 KLD capacity. Since, the unit has installed an STP which is operational and found OK, it falls in the newly created fourth category of the cases and therefore unit may be directed to pay 0.5 % of the project cost by way of environmental damages which comes to Rs. 15 Lakhs and 1 % of project cost by way of Bank Guarantee valid for three years which comes to Rs. 30 Lakhs. The unit is directed to comply with these conditions by 21.01.2009 and also apply for Consent to Operate. Since it is a running unit, Consent to Establish and Consent to Operate applications will be decided on 21.01.2009. Call on 21.01.2009.

(vii) Vardhman Land Developers Private Limited Pushpanjali Promoters Private Limited Construction of  TDI Mall , Plot No 11, Shivaji Place, District Centre, Rajouri Garden, New Delhi
The unit did not come for personal hearing today. The unit has neither complied with the CMC’s decision nor appeared for personal hearing today. The perusal of the record shows that this is the fit case for prosecution as per the advice of the DPCC advocate. Therefore, drafted by the advocate, prosecution proceedings may be initiated immediately and action taken be confirmed on 07.01.2009. Call on 07.01.2009.
(viii) Pankaj Group, Sec-12 Dwarka, New Delhi
The unit did not come for personal hearing today. As advised by the advocate, it may be appropriate to get the waste water analysis done by DPCC laboratory by issuing a proper notice and following the proper procedure. This may be done in next 14 days and report be submitted to CMC on 07.01.2009. Call on 07.01.2009.
(ix) DMRC , Construction of operation control centre (Metro Bhawan ) of Delhi Metro Rail Corporation Ltd at Fire Brigade, Lane Connaught Place, New Delhi
The unit came for personal hearing today. It is releasing waste water of 34 KL every day and has a 100 seats canteen. The unit was clarified that waste water treatment is essential and therefore biological STP has to be installed immediately. The unit assures that it will do so after examination of the space requirement. The unit is directed to install the STP within 03 months and submit monthly interim progress reports and the first such report be submitted on 21.01.2009. Call on 21.01.2009.
(x) Parsvnath Developers Ltd in construction with M/s OCL Ltd Construction of Integrated Station Building and commercial development at Inderlok Metro
The unit did not come for personal hearing today.  Call for personal hearing on 14.01.2009 at 7.00 PM.
Agenda Item No.2-   PGRC cases.
Decisions taken with respect to this agenda are tabulated and annexed as Annexure – 1.

Agenda Item No.3-   Special reference cases.
Decisions taken with respect to this agenda are tabulated and annexed as Annexure – 2.

Agenda Item No.4-   Shopping Mall cases

Decisions taken with respect to this agenda are tabulated and annexed as Annexure – 3.

Agenda Item No.5 to Agenda Item No 9.
These agendas could not be taken up by the Committee, due to paucity of time, and it was decided to take up the same in the CMC meeting to be held on 30.12.2009.
Table Agenda Item No. 1: M/s Manish Industries, A-83, Wazirpur Indl.                  Area, Delhi – 52

The concerned Bank Manager be called by Account Officer, DPCC to sort this out. 
Table Agenda Item No. 2: M/s Study by Directorate of Economics & Statistics on Plastic Units.

File be submitted administratively by 31st December, 2008.

Table Agenda Item No 03: M/s Fahrenheit Automobiles Pvt. Ltd., 68/3, Najafgarh Road Industrial Area, New Delhi

The unit wants Consent to Establish without the ETP being functional. The unit has also not applied for Consent to Operate. Consent to Establish can be granted, if the unit files an affidavit that it will not start operations till the ETP is fully installed and functional. Call on 28.01.2009
Table Agenda Item No 04: S.S. Co-Build Pvt. Ltd. proposed shopping mall "Capitol City Mall", BG-1 & BG-2, Paschim Vihar, New Delhi
The case was considered by CMC in view of representation of the unit for revocation of the closure directions. Revocation order already issued.  Call on 21.01.2009.
Table Agenda Item No 05: Sports Facilities Block at Shivaji Stadium, New Delhi constructed by M/s Simplex Project Ltd. 88, Skipper Corner, 4th Floor, Nehru Place, New Delhi
Ask the unit to file environmental clearance application and Consent to Establish application immediately. Call on 28.01.2009.

Table Agenda Item No 06: MS may write to Ms. Nalini Bhatt, Advisor, MOEF clearly indicating that no case of environmental clearance should now remain with MOEF as   SEIAA has been set up for Delhi as per EIA notification. This may be done immediately with a copy to Mr. Mauskar, Joint Secretary, MOEF. Separately, Trainees of CMC to surf  the website of MOEF and find out the list of such cases and submit to MS, DPCC. 
Table Agenda Item No 07: All the EEs / AEEs and Trainnes of three CMCs will go through the recently notified HWM Rules and implement the same in all the relevant cases.

Meeting ended with thanks to the Chair.
 
	Sno.
	Name
	Activity
	Facts of The Case
	Earlier Decision
	Action Taken
	Decision on 23.12.08

	1
	Bhandari Farm, Chattarpur Temple Road, Chattarpur, Mehrauli
	Farm house
	The unit called for personal hearing on 30.09.2008. The unit did not come. However, a representation was received from the unit.As decided in CMC on 30.09.08, the unit was inspected by SIT on 29.10.08.  
A letter was issued on 20.11.08 for submission of structural and built up area drawing submitted to DDA/MCD.
	Decision on 06.11.08:-              Ask the unit to file structural and built up area drawing which was submitted to DDA/MCD. Call on 03.12.2008
Decision on 03.12.08: Call on 23.12.2008
	 
	Issue final reminder. Call on 28.01.2009

	2
	Venus Metal Industries, A-42/3, Mayapuri Indl. Area, Delhi.
	Mfg of Bathroom fittig items.
	The unit was inspected by Er. Trainee on 18.11.08 w.r.t. a public complaint. During the inspection, the unit found operating and engage in mfg of bathroom fitting items with Electroplating. Unit didnot comply with the HWM Rules as the waste is not store in covered container and in isolated area and the labelling on the container was not proper.ETP was not operating at the time of inspection due to Batch Process, however, it was funtional. As approved, a letter was issued to the unit on 16.12.08 for submission of Adequacy report and complaince for HWM Rules. A notice was also issued to the unit for Reokation of CTO as there is no industry was operating in the premises no. A-42/2 by the name of  "Venus Metal Industries".
	 
	 
	Ask the unit to file Bank Guarantee of Rs. 50,000 each under Water Act and HWM Rules valid for one year to ensure that proper treatment continues regularly. Call on 28.01.2009.

	3
	Compalint against M/s B.M Industries, Plot No. PP-24, Gali No. 10, Near Police Station, Anand Parbat Industrial Area, New Delhi -05
	Job Work of steel pressing
	With reference to a public complaint received through Ratilal K.Varma, M.P regarding polluting paint/powder coating units operating at Plot No. P.P 24, Gali No. 10 & Plot No. 111, Gali No. 9 , Anand Parbat Industrial Area, the unit was inspected by SIT on 04.11.08. The unit was found engaged in job work of steel pressing in two rooms at ground floor. The unit has not obtained CTE. As per the records, the unit was having CTO-GREEN for the activity of Light Engg. job work (valid upto 13.06.07). As approved notice under Air Act and Water Act was issued on 19.11.08.Reply awaited.
	Decision on 03.12.08: Call on 23.12.2008
	 
	Issue final reminder. Call on 28.01.2009

	4
	Compalint against M/s S.L. Kammuddin,Plot No. PP-24, Gali No. 10, Near Police Station, Anand Parbat Industrial Area, New Delhi -05.
	Job work of steel pressing
	With reference to a public complaint received through Ratilal K.Varma, M.P regarding polluting paint/powder coating units operating at Plot No. P.P 24, Gali No. 10 & Plot No. 111, Gali No. 9 , Anand Parbat Industrial Area, the unit was inspected by SIT on 04.11.08. The unit was found engaged in job work of steel pressing at ground floor. The unit has not obtained CTE.As approved notice under Air Act and Water Act was issued on 19.11.08.Reply awaited. 
	Decision on 03.12.08: Call on 23.12.2008
	 
	Issue final reminder. Call on 28.01.2009

	5
	Complaint against M/s Mahinder Plastic Works,Plot No. 111. Gali No. 9, Near Police Station, Anand Parbat Industrial Area, New Delhi -05.
	Die making of electronic component.
	With reference to a public complaint received through Ratilal K.Varma, M.P regarding polluting paint/powder coating units operating at Plot No. P.P 24, Gali No. 10 & Plot No. 111, Gali No. 9 , Anand Parbat Industrial Area, the unit was inspected by SIT on 04.11.08. The unit was found engaged in die making of electronic components at ground floor . The unit has not obtained CTE.As per the records, unit was having CTO-GREEN for activity of Light Engg. job work (valid upto 18.07.07). Further, applied for CTO-ORANGE on 11.07.08. As approved notice under Air Act and Water Act was issued on 19.11.08.Reply awaited. 
	Decision on 03.12.08: Call on 23.12.2008
	 
	Call on 28.01.2009

	6
	Complaint against M/s Sh. Pankaj Badhuria, Plot No. 111. Gali No. 9, Near Police Station, Anand Parbat Industrial Area, New Delhi -05.
	Lath machine work .
	With reference to a public complaint received through Ratilal K.Varma, M.P regarding polluting paint/powder coating units operating at Plot No. P.P 24, Gali No. 10 & Plot No. 111, Gali No. 9 , Anand Parbat Industrial Area, the unit was inspected by SIT on 04.11.08. The unit was found engaged in lath machine work at ground floor.The unit has not obtained CTE.As approved notice under Air Act and Water Act was issued on 19.11.08.However, the same has been returned back undelivered,which was pasted in the premises of the unit on 02.12.08.
	Decision on 03.12.08: Call on 23.12.2008
	 
	Issue final reminder. Call on 28.01.2009

	7
	Complaint against M/s R.B.  Industries, Plot No. 111. Gali No. 9, Near Police Station, Anand Parbat Industrial Area, New Delhi -05.
	lathe machine works.
	With reference to a public complaint received through Ratilal K.Varma, M.P regarding polluting paint/powder coating units operating at Plot No. P.P 24, Gali No. 10 & Plot No. 111, Gali No. 9 , Anand Parbat Industrial Area, the unit was inspected by SIT on 04.11.08. The unit was found engaged in lathe machine work at ground floor.The unit has not obtained CTE. As per the records, unit was having CTO-GREEN for activity of Light Engg. work by Lathe m/c (valid upto 21.07.08). It also reveals from the persual of the record that a letter was issued to the unit on 14.01.03 for submission of fresh/ revaledated bank draft of Rs. 2250. Further, applied for renewal on 30.07.07. As approved notice under Air Act and Water Act was issued on 19.11.08.Reply awaited. 
	Decision on 03.12.08: Call on 23.12.2008
	 
	Issue final reminder. Call on 28.01.2009

	8
	Complaint against M/s Ramlot Gupta, Plot No. 111. Gali No. 9, Near Police Station, Anand Parbat Industrial Area, New Delhi -05.
	manufacturing of plastic toys.
	With reference to a public complaint received through Ratilal K.Varma, M.P regarding polluting paint/powder coating units operating at Plot No. P.P 24, Gali No. 10 & Plot No. 111, Gali No. 9 , Anand Parbat Industrial Area, the unit was inspected by SIT on 04.11.08. The unit was found engaged in plastic toys manufacturing in a small room at ground floor .The unit has not obtained CTE . As approved notice under Air Act and Water Act was issued on 19.11.08.However, the same has been returned back undelivered, which was delivered by hand on 02.12.08 to the owner of the unit.
	Decision on 03.12.08: Call on 23.12.2008
	 
	Issue final reminder. Call on 28.01.2009

	9
	Compalint against M/s R.D Engineering Works,Plot No. PP-24, Gali No. 10, Near Police Station, Anand Parbat Industrial Area, New Delhi -05
	Die reparing work(lathe machine work)
	With reference to a public complaint received through Ratilal K.Varma, M.P regarding polluting paint/powder coating units operating at Plot No. P.P 24, Gali No. 10 & Plot No. 111, Gali No. 9 , Anand Parbat Industrial Area, the unit was inspected by SIT on 04.11.08. The unit was found engaged in dei reparing work (lathe machine work) at ground floor.The unit has not obtained CTE. As per the records, unit was having CTO-GREEN for activity of labour job work of Tin Containers (valid upto 13.06.08). As approved notice under Air Act and Water Act was issued on 19.11.08.Reply awaited. 
	Decision on 03.12.08: Call on 23.12.2008
	 
	Issue final reminder. Call on 28.01.2009

	10
	Compalint against M/s N.K.Industries,Plot No. PP-24, Gali No. 10, Near Police Station, Anand Parbat Industrial Area, New Delhi -05
	Light Engineering work
	With reference to a public complaint received through Ratilal K.Varma, M.P regarding polluting paint/powder coating units operating at Plot No. P.P 24, Gali No. 10 & Plot No. 111, Gali No. 9 , Anand Parbat Industrial Area, the unit was inspected by SIT on 04.11.08. The unit was found engaged in light engineering work.The unit has not obtained CTE.As approved notice under Air Act and Water Act was issued on 19.11.08.Reply awaited. 
	Decision on 03.12.08: Call on 23.12.2008
	 
	Issue final reminder. Call on 28.01.2009

	11
	Complaint against M/s Naz International, Plot No. 111. Gali No. 9, Near Police Station, Anand Parbat Industrial Area, New Delhi -05.
	Manufacturing of oil seal rubber parts
	With reference to a public complaint received through Ratilal K.Varma, M.P regarding polluting paint/powder coating units operating at Plot No. P.P 24, Gali No. 10 & Plot No. 111, Gali No. 9 , Anand Parbat Industrial Area, the unit was inspected by SIT on 04.11.08. The unit was found engaged in manufacturing of oil sealed rubber parts.The unit has not obtained CTE.As approved notice under Air Act and Water Act was issued on 19.11.08.Reply awaited. 
	Decision on 03.12.08: Call on 23.12.2008
	 
	Issue final reminder. Call on 28.01.2009

	12
	Compalint against M/s Naresh Sharma ,Plot No. PP-24, Gali No. 10, Near Police Station, Anand Parbat Industrial Area, New Delhi -05
	Lathe machine works
	With reference to a public complaint received through Ratilal K.Varma, M.P regarding polluting paint/powder coating units operating at Plot No. P.P 24, Gali No. 10 & Plot No. 111, Gali No. 9 , Anand Parbat Industrial Area, the unit was inspected by SIT on 04.11.08. The unit was found engaged in lathe machine work at ground floor.The unit has not obtained CTE.As approved notice under Air Act and Water Act was issued on 19.11.08.Reply awaited. 
	Decision on 03.12.08: Call on 23.12.2008
	 
	Issue final reminder. Call on 28.01.2009

	13
	Compalint against M/s Khushnuma Paints/Khusharma Paints, Plot No. PP-24, Gali No. 10, Near Police Station, Anand Parbat Industrial Area, New Delhi -05
	powder coating
	With reference to a public complaint received through Ratilal K.Varma, M.P regarding polluting paint/powder coating units operating at Plot No. P.P 24, Gali No. 10 & Plot No. 111, Gali No. 9 , Anand Parbat Industrial Area, the unit was inspected by SIT on 04.11.08. The unit was found engaged in powder activity .The unit has provided channelisation and dust collection system( cyclone ) with powder coating booth and ventilation system with LPG fired ovens.However, no pollution control device has been provided with the LPG fired oven. The unit is also not complying with the provisions of HWM Rules. The unit has not obtained CTE.As per the records, unit was having CTO-Orange for activity of Powder coating without phosphating/ acid works (valid upto 28.07.05). As approved notice under Air Act and Water Act was issued on 19.11.08.Reply awaited. 
	Decision on 03.12.08: Call on 23.12.2008
	 
	Issue reminder to the unit to apply for Consent to Establish. Call on 28.01.2009

	14
	Compalint against M/s Komal Powder Coating, A- 86/8 in front of Plot No. 111/9, Near Police Station, Anand Parbat Industrial Area, New Delhi-05.
	powder coating
	With reference to a public complaint received through Ratilal K.Varma, M.P regarding polluting paint/powder coating units operating at Plot No. P.P 24, Gali No. 10 & Plot No. 111, Gali No. 9 , Anand Parbat Industrial Area, the unit was inspected by SIT on 04.11.08. The unit was found engaged in powder activity .The unit has provided channelisation and dust collection system( cyclone )with powder coating booth.However , no ventilation and pollution control device has been provided with the LPG fired oven. The unit is also not complying with the provisions of HWM Rules. The unit has not obtained CTE. As per the records, unit was having CTO for activity of powder coating (valid upto 01.08.05) & CTR-Orange valid upto 26.10.08.Further, applied for CTR on 25.09.08 and renewal for authorization under HWM Rules on 10.08.06. As approved notice under Air Act and Water Act was issued on 19.11.08.Reply awaited. 
	Decision on 03.12.08: Call on 23.12.2008
	 
	Ask the unit to install channelization system on powder coating oven. Call on 28.01.2009. 

	15
	Complaint against M/s M.I Enginering,Plot No. 111. Gali No. 9, Near Police Station, Anand Parbat Industrial Area, New Delhi -05.
	Manufacturing of aluminium parts from lathe machine
	With reference to a public complaint received through Ratilal K.Varma, M.P regarding polluting paint/powder coating units operating at Plot No. P.P 24, Gali No. 10 & Plot No. 111, Gali No. 9 , Anand Parbat Industrial Area, the unit was inspected by SIT on 04.11.08. The unit was found engaged in Manufacturing of aluminium parts from lathe machine. The unit has not obtained CTE. As per the records, unit was having CTO-GREEN for activity of Light Engg. job work (valid upto 25.07.07). As approved notice under Air Act and Water Act was issued on 19.11.08.Reply awaited. 
	Decision on 03.12.08: Call on 23.12.2008
	 
	Unit may be issued reminder to apply for Consent to Establish. Call on 28.01.2009


	Sl.No
	Name of the unit
	Activity
	Earlier Decision, if any
	ATR/Remarks
	Decision on  23.12.2008

	1
	Sushil Enterprises, B-8/4, Phase-I, Badli Industrial Area
	Mfg. of PVC / Plastic Products
	              13.08.2008
Ask the unit to apply for Consent to Establish and also examine the applciation in view of the recent High Court Order.  Call on 10.09.2008.
                10.09.2008
Reminder for Consent to Establish with direction to follow the order of High Court. Call on 07.10.2008
                     07.10.2008
Issue reminder. Call on 06.11.2008
                     06.11.2008
SIT to inspect and report. Call on 23.12.2008
	Applied for CTO (R) on 13.04.2007 vide I.D. No. 21041.
Obtained CTO on 11.06.2003 valid upto 25.07.2005.
SIT report to be discussed.
	SIT to inspect and report. Call on 28.01.2009

	2
	7 Star Banquets, 20, Najafgarh Road Industrial Area, Delhi
	Banquet Hall
	                           28.08.2008
SIT to inspect and report. Call on 10.09.2008.
                           10.09.2008
Deficiencies found by SIT to be communicated to the unit for correction. Call for personal hearing on 07.10.2008 at 5.45 PM. 
                               07.10.2008
 The unit came for personal hearing today.  Let the unit  submit the adequacy report of ETP and compliance report of all the deficiencies noted during the SIT inspection. Case to come up on 06.11.2008.
                          06.11.2008
Ask the unit to file an afidavit along with photographs complying the deficiencies communicated on the basis of SIT inspection. Call on 23.12.2008
	Applied for CTO on 13.07.2007 vide I.D. No. 22391.
Applied for authorization under HWM Rules jon 13.07.2007.
Applied for CTE on 21.08.2007 vide I.D.No 23209.
Letter issued
Reply along with affidavit received.
	Revoke closure order. Ask the unit to file Bank Guarantee of Rs. 50,000 each under three Acts, if it does so, Consent to Establish will be granted. Call on 28.01.2009.

	3
	Daffodil  Hotel Tania farm Complex station village Chattarpur Block N-D.110030
	Restaurant & Banquet Hall
	                     10.09.08 
Information is incomplete. A reminder may be issued to the unit for remaining information particularly composting of bio-degradable waste. Call on 07.10.08. 
                     07.10.2008
Transfer file to concerned CMC. Call on 06.11.2008 for decision.
                     06.11.2008
Ask the unit to confirm compliance of installation of Solar Water Heating System. Call on 23.12.2008
	Letter issued.
No reply received.
	Call on 28.01.2009

	4
	Vikas Machine Tools22/7, Gali no.12, Anand Parbat Indl. Area New Delhi-5
	Manufacturing of Industrial Knives
	                        18.06.2008 
No case decided by the CMC will go to ALO for vetting. Draft order will prepared and will either be approved by MS or by chairman. If crucial legal matter is involved, DPCC counsel be consulted. Notice for closure be issued without waiting for minutes and also ask unit to file BG. Call on 18.07.08.
                       13.08.08
Cases of PGRC are to be put up Administratively.
                        03.09.08: 
Call on 07.10.08.
                        07.10.2008
Transfer file to concerned CMC. Call on 06.11.2008 for decision.
                       06.11.2008
SIT to inspect and report. Call on 23.12.2008
	Unit has issued earlier directions of closure u/s 31(A) of Air Act on 18.07.2005.
Unit has applied for CTO on 10.05.2007 and for CTE on 16.06.2008
Unit has deposited BG of Rs. 1 Lakh on 04.07.2008.
SIT report to be discussed.
	Call on 28.01.2009

	5
	National Sports Club of India, Mathura Road, New Delhi
	Club Bar & Restaurant
	                        17.11.2008
SIT to inspect and report. Call on 23.12.2008
	Applied for CTO(R) on 28.08.2008 vide I.D. No. 27112.
SIT report to be discussed.
	SIT inspection found the following deficiencies:-
(i) No rainwater harvesting structure 
(ii) During inspection, aeration tank was not found operational. 
(iii) Cleaning is required in aeration tank and collection tank. 
(iv) Sludge should be removed regularly.  
(v) Stack height of the D.G. Set should be raised atleast upto 2.0 meter above the roof of the building where the D.G. Set is installed.
Ask the unit to correct all these deficiencies. Call on 28.01.2009 

	6
	Orient Craft Limited, B-78, Phase-I, Okhla Industrial Area, New Delhi-20
	Mfg.  of readymade garment with washing
	                        17.11.2008
Unit has sought disposal facility for ETP sludge but has not applied for authorization under HWM Rules. Ask the unit to do so immediately. The unit may also be asked to clarify the exact amount of waste water generated when it is consuming 6 KLD of water for washing for 10,000 pieces of readymade garments. Unit may also be asked to file CGWA clearance. Call on 23.12.2008.
	Applied for CTO on 19.06.2007 vide I.D.No. 21887.
CTE obtained on 23.06.2006 valid upto 22.06.2007
Letter issued.
Reply received.
	File be submitted administratively.

	7
	Hahnemann Pharmaceuticals Pvt. Ltd., A-7, Naraina Indl. Area, Phase-I
	Mfg. cosmetics & perfumery (shampoo only) and homeopathic medicine (formulations only)
	                        17.11.2008
SIT to inspect and report. Call on 23.12.2008
	Applied for CTE on 21.10.2008 vide I.D. No. 27882.
SIT report to be discussed.
Also applied for CTO on 03.12.2008
	SIT to inspect and report. Call on in the last week of February, 2009.

	8
	Haldi Ram Products Pvt. Ltd., A-19, Shivaji Marg, Najafgarh Road, New Delhi
	Sweets, snakcs & other eatable items
	                                 21.08.2008
The unit claims that he has already installed ETP and D. G. Sets have adequacy stack height and acoustic enclosure. Unit may be asked to submit noise monitoring report, adequacy report of ETP and CGWA clearance expeditiously. Call on 17.09.2008.
                                17.09.2008
Let the unit to file CGWA clearance. Call on 16.10.2008
                                 15.10.2008
Call on 06.11.2008
                                06.11.2008
Call on 03.12.2008
                               03.12.2008
The Committee deliberated on this issue and decided that Consent to Establish can be granted subject to the installation of Solar Water Heating System, Rain Water Harvesting structures and CGWA Clearance. 
The unit must also apply for Consent to Operate immediately. 
Call on 23.12.2008. 
	Letter issued.
Reply awaited.
	Call on 28.01.2009

	9
	M/s Imperial Hotel, Janpath, Connaught Place, New Delhi-01
	Five Star Hotel
	                    17.11.2008
SIT to inspect and report. Call on 03.12.2008. 
                     03.12.2008
The following deficiencies were noted during the SIT inspection:
(a) Only 1 number of sludge drying bed existing at site indicating no stand by sludge drying bed provided at site. 
(b) 100 KLD sewage is being discharged directly into the sewer without any treatment and ETP has been provided only for 100 KLD trade effluent. Separate STP required to be installed.
(c) Waste oil needs to be managed as per the provisions of Hazardous Waste (Management & Handling) Rules such as installation of display board, provision of hazardous waste containers and HW record keeping. 
(d) At present, stack height of the D.G. Set of 1250 KVA only 2 meters above the roof top which is not adequate as per norms notified in Environment (Protection) Rules and needs to be raised.
(e) Solar water heating system to be provided.
(f) Defunct filter press exists at site which needs to be removed.
Unit to clarify the time by when the above deficiencies will be corrected. Inform the unit to follow the D.G. Set Rules w.r.t. the request received for permission to import new D.G. Set. Call on 23.12.2008.
	Letter issued.
Reply awaited.
	Call on 28.01.2009

	10
	Unlite Plastic Industries Pvt. Ltd. , 62, Najfgarh Road Industrial Area, Delhi
	Mfg .of Plastic Film
	                  28.08.2008
SIT to inspect and report.  Call on 17.09.2008.
                    17.09.2008
Ask the unit to apply for authorization under HWM Rules and raise the height of the D.G. Set . Unit may also be sent to copy of the High  Court order for compliance. Call on 16.10.2008.
                     15.10.2008
Issue reminder. Call on 24.11.2008
                      24.11.2008
SIT to inspect and report. Call on 17.12.2008
	Unit was issued CTO on 16.04.2004 valid upto 22.03.2007. 
Applied for CTO(R)  on 03.07.2007.
SIT report to be discussed.
	Unit may be asked to remove rotogravure printing machine from the premises and file an affidavit in this regard. Call on 28.01.2009

	11
	Harpreet Motors Pvt. Ltd., 68/2, Najafgarh Road, New Delhi
	Repairing & Servicing of cars
	                      17.03.2008
Ask the unit to apply for authorization under HWM Rules.
                          15.10.2008
Unit has filed incomplete application without any photoraphs / storage container and display board and without agreement letter for the waste oil with the registered recycling agency. Unit be asked to rectify the discrepancies.  Call on 24.11.2008
                            24.11.2008
Issue Consent to Establish. Call on 17.12.2008
	As per CMC decision dated 24.1.2008, CTE issued.
	SIT to inspect and report. Call on in the last week of February, 2009.

	12
	Fire accident at M-15, Badli Industrial Area, Delhi-42
	Thermo plastic compound and thermoplastic master batches
	Decision on 17.09.08: SIT to inspect and report. Call on 16.10.08.
                        15.10.2008
Ask the unit to apply for Consent to Establish. File may be transferred to concerned Cell. Call on 24.11.2008.
                        24.11.2008
Ask the unit to file Bank Guarantee of Rs. 1 Lakh each under all of the three Acts. Call on 17.12.2008
	Letter issued.
No reply received.
	Issue final reminder. Call on 28.01.2009

	13
	Excel Motors, B-II, Mohan Cooperative Indl. Area, Delhi.
	Workshop
	Decision on 17.09.08: SIT to inspect and report. Call on 16.10.08.
                        15.10.2008
The deficiencies noted by SIT  be communicated to the unit for correction. File may be transferred to concerned Cell. Call on 24.11.2008.
                         24.11.2008
Final reminder to submit affidavit for correction of deficiencies noted by SIT during the inspection. Call on 17.12.2008
	Reminder issued.
No reply received.
	Call on 28.01.2009

	14
	M/s Qutab Hotel, Shaheed Jeet Singh Marg, New Delhi-16
	 
	                     15.10.2008
The unit must file the ISO certification by 31.12.2008. SIT to inspect and report.  Call on 24.11.2008.
                    24.11.2008
SIT report indicates the following deficiencies :- (i) 4.8 KLD of sewage being released directly into the sewer (ii) No record of hazardous waste being maintained (iii) Borewell is being operated without CGWA clearance (iv) No rain water harvesting structure and solar water heating system installed (v) ETP of 75 KLD installed but treated water not being reused. 
Ask the unit to correct these deficiencies and file an affidavit by 17.12.2008. Call on 17.12.2008.
	Letter issued.
Reply received.
	Call on 28.01.2009 for interim report and personal hearing on 28.01.2009 at 5.00 PM.

	15
	M/s Deutsche Motoren Pvt. Ltd., H-5/B-1, Mohan Co-operative Industrial Estate, Delhi-44
	 
	                                  21.11.2008
The unit may be directed to indicate the date of start of operation and the reasons for filling the application for Consent to Operate after one year. Call on 24.11.2008.
                                  24.11.2008
SIT to inspect and report. Call on 17.12.2008
	SIT report to be discussed.
	SIT inspection found the following deficiencies:-
(i) ETP was not found operational during inspection.
(ii) No wet sludge observed 
(iii) Chemical dosing system with proper mixing device and water connection should be provided with ETP
(iv) Sludge should be managed as per provisions of HWM Rules
(v) Waste oil should be stored under covered area and on pucca floor with proper label and record 
(vi) D.G. Set stack height needs to be raised as per norms. 
Ask the unit to correct all these deficiencies. Call on 28.01.2009 

	16
	M/s Electro Products (India), Plot NO 245, Pocket-M, Sector-5, DSIDC, Bawana Industrial Area, Delhi
	 
	                                  24.11.2008
SIT to inspect and report. Call on 17.12.2008
	SIT report to be discussed.
	SIT inspection found the following deficiencies:-
(i) No air pollution control device has been found in the extruder processing area.
(ii) Proper channelization and suction device should be installed over extruder machine. 
(iii) Acoustic enclosure needs to be provided with D.G. Set. 
(iv) 1 bore well found at site. No CGWA  information available at site.
Ask the unit to correct all these deficiencies. Call on 28.01.2009 

	17
	M/s Precision Paper Products, T-22, Phase-II, Okhla Industrial Area, New Delhi-110020
	 
	                                  24.11.2008
Ask the unit to apply for authorization under HWM Rules. Call on 17.12.2008.
	Letter issued.
Applied for authorization.
	Consent to Establish granted. As regard, HWM application to be considered in next meeting with the new rules.

	18
	M/s Precision Paper Products, A-139, DDA Sheds, Phase-II, Okhla Industrial Area, New Delhi-110020
	 
	                                  24.11.2008
Ask the unit to apply for authorization under HWM Rules. Call on 17.12.2008.
	Letter issued.
Applied for authorization.
	Consent to Establish granted. As regard, HWM application to be considered in next meeting with the new rules.

	19
	M/s Taj Sats Air Catering Ltd., IGI Airport Complex, New Delhi
	 
	                                  24.11.2008
SIT to inspect and report. Call on 17.12.2008.
	SIT report to be discussed.
	Unit may be asked to manage the waste oil as per the HWM Rules. Call on 28.01.2009
It has come to the notice of CMC that this unit along with two others units namely M/s Oberoi Freight Kitchen and M/s Ambassador Freight Kitchen use approximately 1200 KLD of water and treat nearly 600 KLD of waste water without any reuse. This matter requires to be settled among senior officials of these three units and nearby DIAL officials which operates the airport. Sh. A.N. Singh, Scientiest, DOE to give names of four officers concerned for personal hearing on 28.01.2009 at 5.10 PM . Issue letter accordingly and confirm on file positively. 

	20
	A representation received from Sr. Divisional Electrical Engineer (TRS), Electric Loco Shed (WCR), Tuglakabad, New Delhi-44
	 
	                                  24.11.2008
Ask the unit to apply for authorization under HWM Rules & also to file application for consent to operate and permission from CGWA. Also SIT to inspect and report. Call on 17.12.2008.
	Letter issued.
No reply received.
	Call for personal hearing on 28.01.2009 at 5.20 PM with all documens related to treatment of waste water and disposal of hazardous waste including that from the residential colony of the loco shed.

	21
	M/s Super Plastic Industries, C-1, Udyog Nagar Industrial Area, Delhi
	 
	                                  24.11.2008
SIT to inspect and report. Call on 17.12.2008.
	SIT report to be discussed.
Unit has submitted a letter along with photographs stating that suction arrangement has been installed.
	Ask the unit to file an affidavit regarding correction of deficiencies noted by SIT during inspection. Call on 28.01.2009.
During inspection, SIT found the following units also operaing at the premises:- 
(i) M/s Gold Master Moulds (P) Ltd. (ii) M/s Ginni Polyer (iii) M/s Advance Auto
Ask these units to apply for Consent to Establsh. Call on 28.01.2009

	22
	Ajay Industrial Corporation, B-29, Phase-I, Mayapuri Industrial Area, New Delhi-64
	PVC weather strips, PVC compound
	_
	Unit has obtained CTO(R) on 14.09.2006 valid upto 22.07.2009.
Unit has submitted a representation along with affidavit & memorandum and articles of association on 19.11.2008 & informed that they have changed the unit name from M/s Ajay Industrial Corporation Pvt. Ltd., to M/s Ajay Industrial Corporation Ltd. w.e.f. from 25.08.2008 and requested to change the name in your record.
	Change the name.

	23
	Ajay Industrial Corporation, B-30, Phase-I, Mayapuri Industrial Area, New Delhi-64
	PVC Pipe & PVC Compound
	_
	Unit has obtained CTO(R) on 14.09.2006 valid upto 20.07.2009.
Unit has submitted a representation along with affidavit & memorandum and articles of association on 19.11.2008 & informed that they have changed the unit name from M/s Ajay Industrial Corporation Pvt. Ltd., to M/s Ajay Industrial Corporation Ltd. w.e.f. from 25.08.2008 and requested to change the name in your record.
	Change the name.

	24
	Cosmique Global, A-17, Naraina Industrial Area, Phase-II, New Delhi
	Readymade garments with washing
	                               25.01.2008
The unit has not applied for Consent to Establish and he may be asked to do so immediately. The unit has an old adequacy report and he should file a fresh adequacy report from one of the empanelled agencies within 45 days. He must also file the annual return under HWM Rules and photographs of display boards and containers. 
	Applied for renewal of consent on 06.02.2007.
Also applied for renewal of authorisation under HW rules.
Applied for CTE on 05.03.2008 vide I.D. No. 25099.
Unit has subnmitted adequacy report, annual return and photographs of display boards and containers.
Unit has also submitted a letter on 17.12.2008 and requested to issue consent.
	Consent to Establish granted.

	25
	Jan Sewak Traders, D-194, Okhla Industrial Area, Phase-I, New Delhi-20
	 
	                                    14.11.2007
If the unit files an affidavit that it will not take up any non conforming  activity in this  premises. And files Bank Guarantee of Rs. 3 lakhs then CMC may consider withdrawal of case from court . In view of the fact that the unit has shifted to Faridabad and does not exists in the old premises  as per recent inspection.  If the old unit applies then case to be put up on 20.12.2007. During inspection, other unit found operating may be asked to apply under consent to establish under green category. 
	Unit has filed Bank Guarantee of Rs. 3 Lakhs valid for one year and affidavit in compliance of CMC decision dated 14.11.2007. 
	Send the file to Legal Cell to be put up in the review of lower court cases on 30.12.2008.

	26
	Jain Bharat Dyeing, D-195, Phase-I, Okhla Industrial Area, New Delhi-20
	 
	                                    14.11.2007
If the unit files an affidavit that it will not take up any non conforming  activity in this  premises. And files Bank Guarantee of Rs. 3 lakhs then CMC may consider withdrawal of case from court . In view of the fact that the unit has shifted to Faridabad and does not exists in the old premises  as per recent inspection.  If the old unit applies then case to be put up on 20.12.2007. During inspection, other unit found operating may be asked to apply under consent to establish under green category. 
	Unit has filed Bank Guarantee of Rs. 3 Lakhs valid for one year and affidavit in compliance of CMC decision dated 14.11.2007. 
	Send the file to Legal Cell to be put up in the review of lower court cases on 30.12.2008.


	S. No
	Ref. No
	Name & Address
	EC Status 
	CTE status
	Bult Up Area
	Water / Waste Water details
	Total Project Cost
	Date of Commissioning
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	ATR/REMARKS
	Decision on 23.12.2008

	1
	SA-3
	R.C.Sood & Co. Pvt.Ltd.Proposed Shopping Mall at 10, Shivaji Palace, District centre, Raja Garden, Delhi, 
	26-03-08
	11/09/06                27-02-07
	 
	 
	 
	 
	                             03.12.2008
The unit came for personal hearing today. It sought a lenient view on the Environmental Damages and Bank Guarantee in view of economic melt down. The unit has leased out the entire premises to Shoppers’ Stop and gets a handsome lease rent since its date of the operation. However, considering the facts on ground and the request for a lenient view on accounts of the economic melt down condition, the Committee decided that Environmental Damages be reduced from Rs. 59 Lakhs to Rs 50 Lakhs and Bank Guarantee be reduced from Rs. 1.18 Crores to Rs. 1.0 Crores valid for three years providing a substantial relief to the unit on this account. The unit seeks time to discuss the matter with its management. Call on 23.12.2008.
	Environmental damages and Bank Guarantee not submitted.
	The representative of the unit appeared before CMC today.  The unit has filed an adequacy report issued by Delhi College of Engineering. This report is at variance with SIT report, which has found no system for dewatering of sludge. The unit claims that it is facing difficulty during recessionary conditions therefore seeks a lenient view. Since the unit has filed the adequacy report, SIT may inspect the unit carefully once again to see if there are any deficiencies still remaining. SIT report will be considered in CMC on 28.01.2009. Call on 28.01.2009.

	2
	SA-10
	Shoppers' Stop, Plot no 10, Shivaji Place, Rajouri Garden, Delhi
	Name not included in the list of Ecs accorded/pending with MOEF(as provided by MOEF)
	Not submitted
	26454Sqm
	 
	 
	 
	                              17.09.2008
Both R.C. Sood, the landlord of the premises, and Shoppers’ Stop who is the single tenant of the premises attended the hearing. Unit namely R.C. Sood admits before the Committee that in the Environmental Clearance taken by them, the premises let out to Shoppers’ Stop was included. It also admits that the waste water likely to be generated by the tenant was also included in their application of Consent to Establish before DPCC. Further it admits that it was responsible for treatment of waste water likely to be generated by the single tenant. This clearly indicates that the single tenant was allowed to start operations without either taking the Consent to Establish or Consent to Operate by R.C. Sood, the landlord.  The Committee felt that in view of the above, the damages and Bank Guarantee should be in line with the decisions taken in similarly placed cases. Since the total project cost in the Consent to Establish application and affidavit filed in DPCC by R.C. Sood is Rs. 59.04 crores, the unit namely R.C. Sood has to deposit damages of 1 % of the project cost amounting to Rs. 59 Lakhs and 2 % of the project cost as Bank Guarantee amounting to Rs. 1.18 crores valid for three years for violation of the provisions of Air & Water Acts. The unit may be asked to submit compliance within 04 weeks i.e. by 16.10.2008. Call on 16.10.2008. The unit must comply with all deficiencies communicated to the unit. 
                               15.10.2008
Call on 06.11.2008
                                  06.11.2008
Call on 23.12.2008
	The case to be considered along with R.C. Sood.
	Ask the unit to apply for Consent to Operate. Call on 28.01.2009

	3
	SA-17
	R G Complex, Plot no 2, Motia Khan, Paharganj, Delhi
	Not submitted
	Not submitted
	3990 sqm
	10 KLD 
	Not reported
	20.07.06
	                                24.11.2008
SIT noted the following deficiencies (a) Water consumption of 20 KLD with approx. waste water generation of 16 KLD without ETP & STP being installed. (ii) Borewell being operated without CGWA clearance (c) No rain water harvesting system installed (d) Adequate stack height for the D.G. Set not provided. 
In view of the above deficiencies, notice for closure be issued. Call on 10.12.2008. The notice for closure to be issued immediately without waiting for minutes. The unit has started water pollution without taking Consent to Establish thereby violating the provisions of Water Act & Air Act.
                                   11.12.2008
SIT to inspect and report. Call on 23.12.2008
	Notice for closure under process.
Unit has filed a write petition in Hon'ble High Court.
Next date of hearing is January, 2009.
SIT report to be discussed.
	SIT inspection report to be shown to advocate for advising regarding prosecution / closure / any direction. File be submitted administratively to the Chairman, DPCC by Saturday i.e. 27.12.2008.

	4
	SA-18
	RG City Centre, Plot no 4, Motia Khan, Paharganj, New Delhi
	Not submitted
	Not submitted
	3990 sqm
	MCD : 10 KLD (in reply) / GW : 20 KLD (as per inspection report) / WW - 16 KLD without STP (as per inspection report)
	Not reported
	29.05.2007
	                        24.11.2008
SIT noted the following deficiencies (a) Water consumption of 20 KLD with approx. waste water generation of 16 KLD without ETP & STP being installed. (ii) Borewell being operated without CGWA clearance (c) No rain water harvesting system installed. 
In view of the above deficiencies, notice for closure be issued. Call on 10.12.2008. The notice for closure to be issued immediately without waiting for minutes. The unit has started water pollution without taking Consent to Establish thereby violating the provisions of Water Act & Air Act.
                            11.12.2008
SIT to inspect and report. Call on 23.12.2008
	Notice for closure under process.
Unit has filed a write petition in Hon'ble High Court.
Next date of hearing is January, 2009.
SIT report to be discussed.
	SIT inspection report to be shown to advocate for advising regarding prosecution / closure / any direction. File be submitted administratively to the Chairman, DPCC by Saturday i.e. 27.12.2008.

	5
	SA-32
	Paradise Mall at Plot No 23, Shivaji Place, District Centre, Raja Garden New Delhi by M/s Gold Cause Consructions PVt. Ltd.
	Applied on 07.10.2008
	Applied on 24.11.2008
	Built up area : 41529.22 sqn
	MCD : 287 KLD / WW : 25 KLD
	Rs. 89.93 Crores
	2010
	_
	Applied for CTE on 24.11.2008 vide I.D.No. 28175.
	Ask the unit to apply for Environmental clearance. Call on 28.01.2009

	6
	SB-5
	Star City Mayur Vihar, Ph-I, Delhi Noida Road, Delhi
	Not accorded.
	Not applied for consent to Establish
	no detail provided
	no detail provided
	no detail provided
	no detail provided
	                               07.10.2008
 The unit came for personal hearing today.  It must file complete application for Consent to Establish along with the clear cut reply on the deficiencies of SIT inspection. Call on 17.11.2008.
                           17.11.2008
Ask the unit to file Consent to Establish(CTE) with proper documentation. The unit is producing 20 KLD of waste water and claims to recycle it in CTE, but in its letter is saying contradictory things. Unit may be asked to set up an ETP and recylce the waste water. Call on 23.12.2008
	Leter issued on 01.12.2008.
Reply awaited.
	Call for personal hearing on 21.01.2009 at 5.30 PM.

	7
	SB-8
	P.S.K. Distrcit Centre, Laxmi Nagar, Vikas Marg, Delhi, DSIDC Govt of NCT of Delhi
	NA
	15.01.2008
	644 sq m
	corporation and ground water, 
3  KLD (WW)
	70 lakhs
	Feb 08
	                           11.03.2008
The unit appears to be a club with dining facilities. The unit may be asked to clarify whether they have installed ETP / STP. The unit may also be asked to clarify whether they have adequate stack height and acoustic enclosures with two D.G. Sets. 
                            11.04.2008
Time allowed till end May, 2008 to install ETP. 
                         28.5.08
The unit must file the ETP report and noise monitoring report latest by 18.06.2008. Call on 18.06.2008.
                            18.06.2008
Call on 18.07.2008 with reply.
                             13.08.2008
Issue final reminder. Call on 10.09.2008.
                         10.09.2008
Final reminder. Call on 30.09.2008.
                         07.10.2008
Issue reminder. Call on 06.11.2008
                        06.11.2008
MS to write to MD, DSIDC. Call on 23.12.2008
	Leter issued on 24.11.2008.
Reply awaited.
	6th reminder be issued through Chairman, DPCC to MD, DSIIDC with a copy to Chief Secretary. Call on 28.01.2009

	8
	SB-30
	Nipun Builders  & Development (P) Ltd.,  Karkardooma, District Centre, near AGCR Colony, Delhi
	_
	Applied on 17.06.2008
	2802 sqm
	13.5 / 10.8 (domestic effluent)
	5,59,40,179
	15.09.2004
	                  06.11.2008
The unit came for personal hearing today. It says that the figure of waste water discharge of 10.8 KLD are factually incorrect. SIT inspection shows 38 office and 25 shops without any food courts. Prima-facie it appears that this figure may be less and granting the advantage on this account, the unit is directed to pay environmental damages of Rs. 2.5 Lakhs and Bank Guarantee of Rs. 5 Lakhs valid for three years by 23.12.2008. If the unit complies with the same, issue Consent to Establish across the table. Call on 23.12.2008.
	Environmental damages and Bank Guarantee not submitted.
	Issue final reminder. Call on 28.01.2009

	9
	SB-39
	Vishal Retail Ltd.,  FD-7 Pitampura, New Delhi
	_
	Applied
	 
	 
	 
	 
	                            07.10.2008
SIT to inspect and report. Call on 06.11.2008
                            06.11.2008
Ask the unit to file permission from CGWA for ground water drawl and to maintain general cleanliness of the area. Call on 23.12.2008
	Leter issued on 21.11.2008.
Reply awaited.
	Issue final reminder. Call on 28.01.2009

	10
	SB-43
	Gold souk mallplot no.1,sharda niketan opp.crescent public school, saraswati vihar
	_
	Applied on 17.11.2008
	Not reported
	MCD-6 KLD (borewell+DJB)  GW-NIL    DIS.-5 KLD  
	Rs. 26 Crores
	not reported
	                     06.11.2008
The unit came for personal hearing today. It had refused to sign the SIT inspection report and has not given the project cost details even after two months. It has not applied for Consent to Establish so far and it is operational on 60 % occupancy. If unit does not file the Consent to Establish  application, project cost and effluent analysis report, by 17.11.2008, issue notice for closure immediately. Call on 17.11.2008.
                     17.11.2008
The unit has filed CTE which shows project cost of Rs. 26 crores and waste water generated is not treated. The unit may be asked to set up ETP urgently and recycle the treated waste water. Call on 23.12.2008
	Leter issued on 01.12.2008.
Reply received on 10.12.2008
	Call for personal hearing on 21.01.2009 at 6.15 PM.

	11
	SB-47
	Pearl Best Heights, II, Plot No C-9, Netaji Subhash Place, Pitampura, Dehi by Best Infrastructure (India) Pvt. Ltd., Best Plaza, Plot No H8, Netaji Subhash Place, Pitampura, New Delhi
	 
	10.09.2008
	Plot area : 899.64 sqm
Built up area : 8060.80 sqm
	Domestic : 24 KLD / GW : 24 KLD / WW : 19 KLD
	19 crores
	Sep. 2008
	                         06.11.2008
The unit came for personal hearing today. It claims that it was unaware of the provisions of Air and Water Acts and has applied for Consent to Establish. It also assured that it would raise the stack height with the D.G. Set as per the norms. The Committee deliberated on the issue and decided to impose environmental damages of Rs. 5 Lakhs and Bank Guarantee of Rs. 10 Lakhs valid for three years to be complied by 23.12.2008. If the unit complies with the same, issue Consent to Establish across the table. Call on 23.12.2008.
	Environmental damages and Bank Guarantee not submitted.
	Issue final reminder. Call on 28.01.2009

	12
	SB-48
	Best Sky Tower, Plot No F5, Netaji Subhash Place, Pitampura, Delhi  by Best Realtors (India) Pvt. Ltd., Best Plaza, Plot No H8, Netaji Subhash Place, Pitampura, New Delhi
	 
	10.09.2008
	Plot area : 899.64 sqm
Built up area : 9171.68 sqm
	Domestic : 26 KLD / GW : 26 KLD / WW : 21 KLD
	Rs. 22 crores
	Jan. 2009
	                               06.11.2008
The unit came for personal hearing today. It claims that it was unaware of the provisions of Air and Water Acts and has applied for Consent to Establish. The Committee deliberated on the issue and decided to impose environmental damages of Rs. 6 Lakhs and Bank Guarantee of Rs. 12 Lakhs valid for three years to be complied by 23.12.2008. If the unit complies with the same, issue Consent to Establish across the table. Call on 23.12.2008.
	Environmental damages and Bank Guarantee not submitted.
	Issue final reminder. Call on 28.01.2009

	13
	SB-49
	Best Mega Mall, CSC/OCF No 7, Sector-24, Phase-III, Rohini, New Delhi
	 
	10.09.2008
	Plot area : 1661.24 sqm
Built up area : 989.548 sqm
	Domestic : 6 KLD / GW : 6 KLD / WW : 05 KLD
	Rs. 9 crores
	Feb. 2009
	                         06.11.2008
The unit came for personal hearing today. It claims that it was unaware of the provisions of Air and Water Acts and has applied for Consent to Establish. In view of the fact the mall is operational but the domestic effluent being only 5 KLD, the Committee deliberated and reduced the environmental damages to Rs. 5 Lakhs and Bank Guarantee to Rs. 10 Lakhs valid for three years. To be complied by 23.12.2008. If the unit complies with the same, issue Consent to Establish across the table. Call on 23.12.2008.
	Environmental damages and Bank Guarantee not submitted.
	Issue final reminder. Call on 28.01.2009

	14
	SB-50
	Pearl Best Heights, 1, Plot No A5, Netaji Subhash Place, Pitampura, New Delhiby M/s Best Infrastructure (India) Pvt. Ltd., 
	 
	10.09.2008
	Plot area : 899.64 sqm
Built up area : 8060.80 sqm
	Domestic : 24 KLD / GW : 24 KLD / WW : 19 KLD
	19 crores
	Nov. 2008
	                 06.11.2008
The unit came for personal hearing today. It claims that it was unaware of the provisions of Air and Water Acts and has applied for Consent to Establish. The Committee deliberated on the issue and decided to impose environmental damages of Rs. 5 Lakhs and Bank Guarantee of Rs. 10 Lakhs valid for three years to be complied by 23.12.2008. If the unit complies with the same, issue Consent to Establish across the table. Call on 23.12.2008.
	Environmental damages and Bank Guarantee not submitted.
	Issue final reminder. Call on 28.01.2009

	15
	SB-52
	PVR Prashant Vihar, New Delhi
	Not submitted
	Not submitted
	_
	_
	_
	_
	                                03.09.2008
Reminder to comply with directions of CMC dated 31.07.2008 by 30.09.2008. Call on 30.09.2008.
                             07.10.2008
Issue reminder. Call on 06.11.2008
                            06.11.2008
Issue final reminder. Call on 23.12.2008
	Final reminder issued on 21.11.2008.
Reply received on 03.10.2008
	Call on 28.01.2009

	16
	SB-53
	Vardhman Premimum Mall, Deepali Chowk, Outer Ring Road, Saraswati Vihar, New Delhi-34
	 
	 
	 
	 
	 
	 
	                        07.10.2008
Ask the unit to apply for Consent to Establish. SIT deficiencies to be commnicated and ETP installation to be emphasized. Call on 06.11.2008
                        06.11.2008
Issue final reminder. Call on 23.12.2008
	Reminder not issued as per Court order. However, as per decision on file inspection to be done by SIT.
	SIT inspection report to be shown to advocate for advising regarding prosecution / closure / any direction. File be submitted administratively to the Chairman, DPCC by Saturday i.e. 27.12.2008.

	17
	SB-57
	Mangla Shree Properties (P) Ltd., D-1669, DSIDC, Narela Industrial Area, Delhi
	 
	Applied on 17.10.2008
	Built up area : 9319.11 sqm
	MCD : 89 KLD / GW : Nil / WW : Nil
	30.25 Crores
	2009
	                  11.12.2008
The unit came for personal hearing today. It claims that it has done only 1/3rd of the excavation and therefore should be treated leniently. The Committee deliberated on this issue and decided to impose Rs. 1 Lakh by way of Environmental Damages and Rs. 1 Lakh by way of Bank Guarantee valid for three years which may be filed by 23.12.2008. If it does so, Consent to Establish will be issued immediately. Call on 23.12.2008.
	Environmental damages and Bank Guarantee not submitted.
	Issue final reminder. Call on 28.01.2009

	18
	SB-58
	Ambience Towers Pvt. Ltd., Plot No 10, Community Centre, Block B, Shalimar Bagh, Delhi
	Built up area : 14818 sqm
	Applied on 07.11.2008
	Built up area : 14818 sqm
	Water consumption : 131 KLD / WW : Nil
	128.61 Cr.
	December, 2010
	                        17.11.2008
Ask the unit to file the following documents :- 1. Affidavit indicating date of start of construction and date of completion. 2.  Approved architectural drawing. 3. Details of ground water drawl. 4. Permission from CGWA for ground water drawl. 5. Deatils of  waste water discharge   6. Details of D.G. Sets.7. Plot area. 8. Built up Area. 9. Total project cost including the land cost. 10. Completion Certificate. Call on 23.12.2008
	Leter issued on 01.12.2008
Reply received stating that no construction including excavation has started and requesting for CTE.
	SIT to inspect and report. Call on in the last week of February, 2009.

	19
	SB-59
	Ambience Towers Pvt. Ltd., Plot No 2B2, Twin Distt. Centre, Sector-10, Rohini, Delhi
	Built up area : 19059 sqm
	Applied on 03.11.2008
	Built up area : 19059 sqm
	Water consumption : 142 KLD / WW : Nil
	Rs. 154.04 Cr.
	December, 2010
	                        17.11.2008
Ask the unit to file the following documents :- 1. Affidavit indicating date of start of construction and date of completion. 2.  Approved architectural drawing. 3. Details of ground water drawl. 4. Permission from CGWA for ground water drawl. 5. Deatils of  waste water discharge   6. Details of D.G. Sets.7. Plot area. 8. Built up Area. 9. Total project cost including the land cost. 10. Completion Certificate. Call on 23.12.2008
	Leter issued.
Reply received stating that no construction including excavation has started and requesting for CTE.
	SIT to inspect and report. Call on in the last week of February, 2009.

	20
	SC-1
	Select City Walk (Shopping Mall) at Plot No. A-3 & P-1B, District Center, Saket, Delhi by Galleria Properties Management Services Pvt Ltd
	14.02.07
	29.04.05
	24174.66 sq. mtr.
	MCD-697000 lit/day   GW-NIL   DIS-300000 lit/day
	350 crore
	feb.2005.
	                                 31.07.2008
Call on 03.09.2008. Meanwhile affidavit to be filed ,be put up administratively latest by 04.08.2008.
                           03.09.2008
Call on 07.10.2008
                           07.10.2008
Call on 06.11.2008 with High Court order.
                           06.11.2008
Call on 23.12.2008
	(a) The order of High Court is obtained. The order shows that criminal write was adjourned without any relief to the petitioner (accused I prosecution proceedings).
(b) The prosecution case was listed for 11.12.2008 and adjourned for 17.07.2009.
(c) Further a letter from regional office, MOEF has been received which shows that the unit has complied most of the vital environmental safeguards. DPCC is requested to decide the consent application.
	Call on 28.01.2009

	21
	SC-5
	Lifestyle Building Pvt. Ltd. (construction of Commercial Complex at Plot NO 4, Jasola, Delhi
	31/10/2007
	 Not Applied For Consent to Establish, However had applied for NOC W.R.T EC on 13-09-06 . The same has been forwarded to MOEF
	26898.25 sq m
	MCD-192 KLD    GW- NIL   DIS- NIL    STP PROPOSED-100 KLD
	70 CRORE
	 
	                            06.11.2008
The unit came for personal hearing today. The structure is almost complete without taking Consent to Establish and unit has filed a detailed letter saying that it had tried to take all steps to control the pollution. It had taken the environmental clearance and genuinely believed that it was good and valid in law for carrying out construction activity. The Committee deliberated on the issue and based on the similar decision in similarly placed cases, decided to levy environmental damages of Rs. 35 Lakhs and Bank Guarantee of Rs. 35 Lakhs valid for three years to be complied by 23.12.2008. If the unit complies with the same, issue Consent to Establish across the table. Call on 23.12.2008.
	Environmental damages and Bank Guarantee not submitted. However, a letter received from the project propponent showing inability to pay the environmental damages and Bank Guarantee.
	Detailed reply be examined carefully and file be submitted administratively before personal hearing on 21.01.2009 at 5.45 PM.

	22
	SC-10
	Fargo Estate Pvt Ltd C-2 District Centre Saket, New Delhi
	N A
	24/10/08
	10100 sq m
	MCD- 49.5 KLD     GW-nil   Discharge-7000 l/day
	46,30,12,260
	N A
	                                     24.11.2008
SIT indicates following deficiencies (a) The unit consumes 115 KLD of water generating 58 KLD of waste water which is being discharged into the drain without any treatment (b) The unit is generating hazardous waste without applying for authorization under HWM Rules. Also the unit is not maintaining any record or provided display board for the same (c) ETP is non functional and is created to hoodwink the DPCC (d) A 1000 KVA D.G. Set is without adequate stack height. 
In view of the above, notice for closure be issued immediately. Call on 10.12.2008. 
                                 11.12.2008
SIT to inspect and report. Call on 23.12.2008
	Next DOH is 05.02.2009.
SIT report to be discussed.
	SIT inspection report to be shown to advocate for advising regarding prosecution / closure / any direction. File be submitted administratively to the Chairman, DPCC by Saturday i.e. 27.12.2008.

	23
	SC-15
	Brightways Housing & Land Development, Construction of Office Cum Shopping Mall at Plot no 7 Distt Centre Jasola New Delhi 
	Pending with MoEF
	01.11.2007
	21096.513 sq m
	source of water not mentioned    /ground water-- nil   discharge--70KLD     
	66 crore
	proposed
	                                24.11.2008
The unit came for personal hearing today. It says that it is facing difficulty on account of economic melt down. It also says that only a small portion of the mall is operational which was confirmed by SIT report as about 50 %. It sought a lenient view on this account. The Committee deliberated on this issue and felt that credit may be given to the unit for Rs. 28 Lakhs paid by the unit, as compounding fee, to DDA and therefore the environmental damages may be reduced to Rs. 72 Lakhs and the Bank Guarantee be reduced to Rs. 1.5 Crores valid for three years to enable the unit to comply with the CMC’s decision expeditiously and take Consent to Establish. The unit agrees to do so. The unit may comply with the decision of filing the environmental damages and Bank Guarantee by 10.12.2008. If, it does so Consent to Establish will be issued across the table.  Call on 10.12.2008.
                                   11.12.2008
Call on 17.12.2008
                                 18.12.2008
SIT to inspect immediately and report. Call on 23.12.2008
	Case was adjourned on 16.12.2008. Stay on Bank Guarantee and environmental damages with liberty to take action as per law. Next date of hearing is 25.02.2009.
	SIT inspection report to be shown to advocate for advising regarding prosecution / closure / any direction. File be submitted administratively to the Chairman, DPCC by Saturday i.e. 27.12.2008.

	24
	SC-20
	Ambience Developer Pvt. Ltd, Plot No. 2, Vasant Kunj Mall, Vasant Kunj
	27/01/2006
	39787
	42000 sq m
	MCD-77 KLD  GW-nil  Discharge-152.4 kg/day
	40.92 crore and paid to DDA-352.98 crore  
	NA
	                                 03.12.2008
The unit will file by 4 December, 2008 the certificates from the six banks wherein the interest cost clarification was sought on 06.11.2008 and four weeks time was granted to the unit. The unit is taking untenable plea that it was not aware of the date of compliance. The unit is therefore directed to submit the information by 11.12.2008 positively. The unit is also directed to comply with the decision of CMC for submission of Environmental Damages and Bank Guarantee latest by the stipulated date of 23.12.2008. File be submitted administratively on 04.12.2008 with the bank certificates to take a final view on the earlier CMC decision which was conditional. 
	Environmental damages and Bank Guarantee not submitted.
	The representative of the unit appeared before CMC today. It has filed an application stating that it has provided an STP with dual piping system of 225 KLD with intention to increase it to 450 KLD. The unit has also stated that it has a plan to install Rain Water Harvesting system. Finally, unit talks about the economic melt down and requested CMC for lenient view on environmental damages and Bank Guarantee. This matter was discussed in the Committee and following decisions were taken:- (a) Delhi College of Engineering (DCE) may be directed to do a technical evaluation of the STP both in terms of treatment capacity and recycling network. The report of DCE be submitted in CMC on 21.01.2009 for which necessary payment will be made by the unit. (b) The unit may also install the Rain Water Harvesting system by 21.01.2009.
Call on 21.01.2009.

	25
	SC-25
	Manish Buildwell Pvt. Ltd., Plot No 2, LSC, Sec-22 Dwarka , New Delhi
	Built up area : 8485.75 sqm
	24.06.2008
	8485.75 sqm
	MCD- 73 KLD / WW-57 KLD (STP)
	66,94,71,101 crores
	2010
	                      24.11.2008
There has been palpable error in handling this case by the concerned CMC which is warned not to repeat this in future. MS will personally work on this file and issue a Show Cause Notice for closure based on the deficiencies found by SIT. The notice for closure to be issued immediately without waiting for minutes. Inform the advocate accordingly. Call on 10.12.2008.
                      11.12.2008
SIT to inspect and report. Call on 23.12.2008
	SIT report to be discussed.
	SIT to inspect and thereafter take advice of advocate and then file be submitted administratively.

	26
	SC-26
	Vardhman Group, Sec-7 Dwarka, New Delhi
	Name not included in the list of Ecs accorded/pending with MOEF(as provided by MOEF)
	Not applied for consent to Establish
	 
	 
	 
	 
	                     06.11.2008
Call on 03.12.2008 with High Court order.
                      03.12.2008
For all these three cases of Vardhman, our advocate be consulted whether early hearing be sought as these malls are getting the benefit despite violation of all pollution control norms. Call on 10.12.2008. In other case of Vardhman Plaza of Motia Khan not listed today, similar action be taken. 
                      11.12.2008
SIT to inspect and report. Call on 23.12.2008
	SIT report to be discussed.
	SIT to inspect and thereafter take advice of advocate and then file be submitted administratively.

	27
	SC-27
	Vardhman Group, Sec-19 Dwarka, New Delhi
	Name not included in the list of Ecs accorded/pending with MOEF(as provided by MOEF)
	Not applied for consent to Establish
	 
	 
	 
	 
	                      03.12.2008
For all these three cases of Vardhman, our advocate be consulted whether early hearing be sought as these malls are getting the benefit despite violation of all pollution control norms. Call on 10.12.2008. In other case of Vardhman Plaza of Motia Khan not listed today, similar action be taken. 
                     11.12.2008
SIT to inspect and report. Call on 23.12.2008
	SIT report to be discussed.
	SIT to inspect and thereafter take advice of advocate and then file be submitted administratively.

	28
	SC-28
	Vardhman Group, Sec-23 Dwarka, New Delhi
	Name not included in the list of Ecs accorded/pending with MOEF(as provided by MOEF)
	Not applied for consent to Establish
	 
	 
	 
	 
	                        06.11.2008
Call on 03.12.2008 with High Court order.
                           03.12.2008
For all these three cases of Vardhman, our advocate be consulted whether early hearing be sought as these malls are getting the benefit despite violation of all pollution control norms. Call on 10.12.2008. In other case of Vardhman Plaza of Motia Khan not listed today, similar action be taken. 
                                  11.12.2008
SIT to inspect and report. Call on 23.12.2008
	SIT report to be discussed.
	SIT to inspect and thereafter take advice of advocate and then file be submitted administratively.

	29
	SC-32
	Manish Buildwell Pvt. Ltd., Plot No 8, Sector-12,  Dwarka , New Delhi
	 
	Not applied
	Plot area 540 sqm
Built up area 2160 sqm
	 
	 
	 
	                                      03.09.2008
The unit came for personal hearing today. Unit claims that there are four small plots of 135 sqm each for which built up area as per the inspection report is 2160 sqm. According to the unit, there is no effluent discharged and there are no food courts proposed and it is only an office complex. The unit also claims that it has no D.G. Sets and no bore well. Let the unit file its application for Consent to Establish and the case will be considered in the CMC on 30.09.2008.
                              07.10.2008
Ask the unit to apply for Consent to Establish. Call on 06.11.2008
                             06.11.2008
Issue final reminder. Call on 17.12.2008
	SIT report to be discussed.
	SIT inspection report to be shown to advocate for advising regarding prosecution / closure / any direction. File be submitted administratively to the Chairman, DPCC by Saturday i.e. 27.12.2008.

	30
	SC-42
	Amazon Enterprises, Plot No 1, Community Centre, Alaknanda, New Delhi
	Pending with MOEF
	Not applied
	 
	 
	 
	 
	                    03.09.2008
Call on 07.10.2008 for Environmental Clearance.
                    07.10.2008
Issue reminder. Call on 06.11.2008
                 06.11.2008
Ask the unit to apply for Consent to Establish. Call on 23.12.2008
	Letter issued.
Reply awaited.
	Issue reminder for Consent to Establish and retrieve file of environmental clearance from MOEF. Call on 28.01.2009

	31
	SC-43
	Construcion of Commercial Complex cum-multi level parking at plot no 13, Jasola, New Delhi 
	Pending with MOEF
	Not applied
	 
	 
	 
	 
	                       31.07.2008
The unit came for personal hearing today. The unit has made an application to MOEF for Environmental Clearance. It has not made Consent to Establish application so far and the unit is advised to do so with immediate effect. Call on CMC on 03 September, 2008.
                     03.09.2008
Call on 07.10.2008 for Environmental Clearance.
                       07.10.2008
Issue reminder. Call on 06.11.2008
                       06.11.2008
Ask the unit to apply for Consent to Establish. Call on 23.12.2008
	Letter issued.
Reply awaited.
	Issue reminder for Consent to Establish and retrieve file of environmental clearance from MOEF. Call on 28.01.2009

	32
	SC-45
	PVR Saket Select City, New Delhi
	Not submitted
	Not submitted
	_
	_
	_
	_
	                                             31.07.2008
 The unit came for personal hearing today.  It runs 8 cinema halls in Delhi and the situation is as follows:
(a) In 3 cinema halls, the unit draws ground water, therefore it requires permission from CGWA.
(b) In 3 cinema halls, the waste water discharge is more than 10 KLD, unit must file the details of trade effluent and domestic sewage separately out of this total waste discharges of 10 KLD. This information must be filed by way of affidavit.
(c) The unit has D.G. Sets in 5 out of the 8 cinema halls for which stack height from roof has not been indicated. This may be provided.
(d) Two D.G. Sets do not have the acoustic enclosures, which are mandatory to be installed. 
 Since both air & water pollution possibility exists from the D.G. Sets and waste water generation, unit must file separate Consent to Establish applications for all the 8 cinema halls. Call on 03.09.2008 for compliance of the above. 
                                03.09.2008
Reminder to comply with directions of CMC dated 31.07.2008 by 30.09.2008. Call on 30.09.2008.
                                  07.10.2008
Ask the unit to install ETP.  PVR Anupam may also be directed to install ETP. Call on 06.11.2008.
                                06.11.2008
SIT to inspect and report. Call on 23.12.2008
	SIT report to be discussed.
	SIT to inspect and report. Ask the unit to file Consent to Establish immediately. Call on 28.01.2009

	33
	SC-46
	PVR Priya, New Delhi
	Not submitted
	Not submitted
	_
	_
	_
	_
	                                             31.07.2008
 The unit came for personal hearing today.  It runs 8 cinema halls in Delhi and the situation is as follows:
(a) In 3 cinema halls, the unit draws ground water, therefore it requires permission from CGWA.
(b) In 3 cinema halls, the waste water discharge is more than 10 KLD, unit must file the details of trade effluent and domestic sewage separately out of this total waste discharges of 10 KLD. This information must be filed by way of affidavit.
(c) The unit has D.G. Sets in 5 out of the 8 cinema halls for which stack height from roof has not been indicated. This may be provided.
(d) Two D.G. Sets do not have the acoustic enclosures, which are mandatory to be installed. 

 Since both air & water pollution possibility exists from the D.G. Sets and waste water generation, unit must file separate Consent to Establish applications for all the 8 cinema halls. Call on 03.09.2008 for compliance of the above. 
                                03.09.2008
Reminder to comply with directions of CMC dated 31.07.2008 by 30.09.2008. Call on 30.09.2008.
                                   07.10.2008
Ask the unit to install ETP. Call on 06.11.2008
                            06.11.2008
SIT to inspect and report. Call on 23.12.2008
	SIT report to be discussed.
	Ask the unit to correct the deficiencies noted by SIT during inspection. Call on 28.01.2009.

	34
	SC-48
	PVR Anupam
	_
	_
	_
	_
	_
	_
	                     07.10.2008
PVR Anupam may also be directed to install ETP. Call on 06.11.2008.
                    06.11.2008
SIT to inspect and report. Call on 23.12.2008
	SIT report to be discussed.
	Call for personal heraing on 21.01.2009 at 6.00 PM.


