 Minutes of the 107th meeting of the Committee Constituted for Deciding the Consent under Orange Category, held on 25.03.2009 in the Conference Room of Chairman, DPCC.

   The following persons attended the meeting:

1. Sh. J. K Dadoo, Chairman DPCC

2. Dr. A.K.Ambasht, Member Secretary, DPCC

3. Sh. S.K.Gupta, Head Chemical Engineering Deptt. ,IIT Delhi 

4. Sh. B. Kumar, SEE, DPCC

5. Sh. M. Dwarakanth, SSO, Dept. of Env,. GNCTD.

6. EEs  of CMC –  I, II & III/PGRC.

7. AEEs and JEE of CMC – I, II & III.
8. AEE, PGRC.

In addition to above, Sh A.N. Singh Scientist, Deptt. of Environment and Trainees of CMCs, PGRC & SIT also attended the meeting.

Following decisions were taken in the said meeting:- 
Agenda Item No.1-   Personal hearings of M/s Barbeque National, B-1/623, Janak Puri, New Delhi

The unit did not attend the personal hearing. A letter was received from the unit requesting for time. Time granted. Call for personal hearing on 22.04.2009 at 6.15 PM.
Agenda Item No.2-   PGRC cases.
Decisions taken with respect to this agenda are tabulated and annexed as Annexure – 1.
Agenda Item No.3-   Special reference cases.
Decisions taken with respect to this agenda are tabulated and annexed as Annexure – 2.
Agenda Item No.4-   Shopping Mall cases

Decisions taken with respect to this agenda are tabulated and annexed as Annexure – 3.
Agenda Item No.5- Construction Projects cases
Decisions taken with respect to this agenda are tabulated and annexed as Annexure – 4.
Agenda Item No. 6- Friends Colony Industrial Area cases
This agenda could not be taken up by the Committee, as the Action Taken Report could not be completed. It was decided to take up the same in the CMC meeting to be held on 05.05.2009.
Table Agenda Item No 1 : M/s Bharat Rubber Udyog, Village Bakoli, Delhi
Revoke the closure directions subject to the condition that unit submits fresh affidavit for address in question without waiting for minutes. The matter may be put up administratively for taking further necessary action on the basis of SIT report. 
Table Agenda Item No 2 : M/s Indian Oil Corporation Ltd. POL Terminal Site, Ghewra Mode, Rohtak Road, Tikri Kalan, Delhi-41
Issue Consent to Establish. Call on 05.05.2009
Table Agenda Item No 3 : Representations of Sh. Sudhir Kumar Jain  regarding closure of M/s European Jain , PP-26, Gali No 10, Anand Parbat, Delhi
Let Sh. Mahapatra, our advocate in the High Court study the case and give his considered view in this case.  
Table Agenda Item No 4 : Galleria Property Management Services Pvt. Ltd at  DT City Center, Block A, Communtiy Center, Shalimar Bagh, Delhi
In view of the submission made, call for personal hearing on 09.04.2009 at 5.15 PM. Issue letter without waiting for minutes. 
Table Agenda Item No 5 : DLF Retail Developers Ltd. (Construction of Shopping Complex named as DLF South Court  at Plot No A1 & P2B, Saket Place, Saket, New Delhi )
The SIT inspection report and record reveals the following deficiencies: 
(i) Some of the D.G. Sets were found without adequate stack height.

(ii) Unit is engaged in air polluting activity by use of D.G. Sets, carrying out stone cutting, vehicular moment etc. and water polluting activity by generation of trade effluent waste water from washing, bathing of labourers, trade effluent etc. 
(iii) Wet garbage is being dumped in open.
(iv) Construction material is lying in open. 

Ask the unit to correct the above deficiencies and submit the compliance affidavit of environmental clearance conditions. Call on 09.04.2009

Table Agenda Item No 6: 
In CMC dated 02.02.2009, the case of M/s Bajrang Bali Industries, 89, Phase-II, Badli Industrial Area, Delhi was taken up, during which it came to the notice that there are 10 such files in which SIT has not conducted inspection. A decision was taken that all such inspections be conducted and be reported on 25.03.2009. Accordingly, following 08 cases were submitted by SIT (addresses of two units were not correct). The decisions in each of the 08 cases are as follows:- 

(i) M/s Rakesh Industries, 40, Phase-II, Badli Indl. Estate 

The following deficiencies were observed during the inspection by SIT:-

(a) Spray painting is being carried out in open area.

(b) Ground water is being used and no permission from CGWA provided.

(c) Consent to Operate has already expired and unit is running without valid consent.

Ask the unit to correct the above deficiencies and apply for Consent to Establish and Consent to Operate. Call on 05.05.2009.

(ii) M/s Kiran Auto Electricals, Plot No 33, Phase-II, Badli Industrial Area

As per SIT, unit is closed and now M/s Batra Packers is being run. Hence no action w.r.t. M/s Kiran Auto Electricals.
(iii) M/s Batra Packers, Plot No 33, Phase-II, Badli Industrial Area

The following deficiencies were observed during the inspection by SIT:-

(a) Ground water is being used and no permission from CGWA provided.

(b) Acoustic enclosure with the D.G. Set has not been provided
(c) Storage of HSD is not proper. 
Ask the unit to correct the above deficiencies and apply for Consent Establish and Consent to Operate. Call on 05.05.2009.

(iv) M/s Nayyar Television Co., 62, Phase-Ii, Badli Indl. Estate

 Inspection was not allowed. Issue SCN for closure of the unit. Call on 05.05.2009.

(v) M/s Dalmia Industrial Corpn., 76, Phase-II, Badli Industrial Area

Unit does not exist. M/s Shree Balaji Industries is operating in the premises without Consent to Establish and Consent to Operate. Issue letter to the unit to apply for Consent to Establish and Consent to Operate. Call on 05.05.2009.

(vi) M/s Bajrang Bali Industries, 89, Phase-II, Badli Industrial Area, Delhi 

Ask the unit to remove the machinery & equipments related to the pickling activity and submit an affidavit in this regard. Call on 05.05.2009.

(vii) M/s Rameshwar & Co., 50, Phase-II, Badli Industrial Area, Delhi

The following deficiencies were observed during the inspection by SIT:-

(a) Unit engaged in pickling activity and one borewell exists for which permission from CGWA needs to be obtained.

(b) Domestic waste water observed stagnated in front of the unit which needs to be channelzied to sewer. 
Ask the unit to correct the above deficiencies and submit an action plan for stoppage of the activity before 07.02.2010, which falls under negative list as per MPD-2021 and an action plan for new proposed activity in conformity with MPD-2021 on the vacant plot due to closure of present activity. Call on 05.05.2009.

(viii) M/s GIG Industries, 89, Phase-II, Badli Indl. Area, Delhi 

During the inspection conducted by SIT, it was found that one borewell exists for which permission from CGWA needs to be obtained. Call on 05.05.2009.

Meeting ended with thanks to the Chair.

	S. No 
	Name
	Activity
	Facts of The Case
	Earlier Decision
	Action Taken
	Decision on 25.03.09

	1
	M/s South Delhi Club, GK-I, New Delhi
	club
	A public complaint was received from Shri. Ravinder Dhalla through e-mail against South Delhi Club about discharge of waste water in large quantity in the public park at GK-I. A notice was issued on 30.09.08 to submit the details of waste water generated from the club, its disposal system and other measures taken to control the pollution.
A reply has been received from the South Delhi Club informing that they do not discharge any waste water from their premises into the adjacent park and having a proper sewage discharge system from their premises.
Decision on 18.12.08: SIT inpection found the following defficiencies:
1. Unit has to file CTE.
2. Unit has to provide channalisation system with proper sunction device and exhaust should not discharge the emmision towards the park.
3. No oil & grease trap found in the premises.
4. No rainwater harvesting system provided.Ask the unit to correct all these defficiencies and submit an affadevit and phograph in this regard. Call on 21.01.09.
Letter issued to the unit on 12.01.09.Reply received from the unit and inform that they are in process of correcting the deficiencies.
	Decision on 21.01.09: Call on 18.02.09.
Decision on 20.02.09: Call on 25.03.09.
	 
	Ask the unit to submit the status of correction of deficiencies communicated earlier vide letter dated 12.01.2009. Call on 05.05.2009

	2
	Coffee Costa,S-27, Main Market, Green Park
	Coffee Shop
	The unit was inspected on 10.05.08 with reference to a public complaint received from the residents of the area. As decided in CMC on 13.05.08, letter was issued to the unit on 05.06.08 for installation of Oil & Grease trap, and proper stack height with the DG Set. No reply received. As decided in CMC on 18.06.08, final reminder issued to the unit on 03.07.08. No reply received.  The case was put up administratively and as approved final reminder issued on 09.09.08.
As decided in CMC on 17/09/08, the unit came for personal hearing and as decided, inspection was carried out by Trainee Engineer on 10.11.08 and it was observed that an underground pit has been provided and was overflowing to the surroundings by the effluent. Unit submit its reply on 16.01.09 with phographs on Oil & grease trap.As decided in CMC, the unit to file photograph and affidavit indicating oil & grease trap being installed near utensils wash basin.
	Decision on 21.01.09: Ask the unit to file affidavit indicating oil and grease trap being installed near utensils wash basin. Call on 18.02.09.
Decision on 20.02.09: Ask the unit to apply CTE.
	Letter issued to the unit on 17.03.09. Reply awaited.
	Time allowed. Call on 05.05.2009

	3
	Pizza Hut, S-32, Main Market, Green Park, New Delhi
	Restaurant
	The unit was inspected on 10.05.08 with reference to a public complaint received from the residents of the area. As decided in CMC on 13.05.08, letter was issued to the unit on 05.06.08 for submission of CTE, operation of ETP and use of degradable of plastic bags. Reply submitted on 20.06.2006 informing proper operation of ETP,  use of degradable plastic bag and grant of 15 days time to apply for CTE. As decided in CMC on 18.06.08, final reminder issued to the unit on 03.07.08. The case was put administratively and as approved final reminder issued on 09.09.08. 
As decided in CMC on 17.09.08, the unit came for personal hearing and as decided, letter issued to the unit on 04.11.08 to file ETP completion report. The unit submitted its reply on 17.11.08 and informed that they have already installed ETP and are in the process for obtaining Adequacy report from IPU.
	Decision on 21.01.09: Call on 18.02.09.
Decision on 20.02.09: Call on 25.03.09.
	 
	Send a letter to I.P. University and unit both for expediting adequacy report. Call on 05.05.2009

	4
	Ms Venus Industries, WZ-1 Basai Darapur Road, Moti nagar, Delhi-15
	Steel cutlery work
	Inspection carried out by SO Env. Ms. Nigam Aggarwal and it was found that unit engaged in Steel Cutlery work with the help of power press. No noise was observed during inspection, however, one DG Set of 63 KVA without acoustic enclosure and adequate stack height was found. Earlier, same complaint was forwarded to COI on 24.03.08 as unit is operating on non-conforming area.PGC hearing held on 21.08.08 wherein PGC directed to COI & DPCC to submit a site plan of the plot along with the detailed comments on whether it is violating the prescribed land use and sent copy to MCD for the same. The unit was inspected by SIT on 31.10.08. As decided in CMC on 05.11.08, letter was issued to the unit on 17.11.08 for rectification of defficiencies and submission of an affidavit in this regard and also to indicate date of establishing the unit supported by the documentary evidence. * Hearing of this case was also conducted by PGC on 16.12.08 and copy of reply submitted by the unit was given to the PGC as per directions of Chairman PGC. The representative of MCD(Town planning deptt.) inform that as per MPD-2021, Basai Darapur is the notified non-conforming cluster of industrial concentration.Next date of hearing in PGC 
is 05.01.09. Its is also pertinent to mentioned that the activity if theunit does not fall in F-27/33 Catagory 
identified by Nodal Agency/Group of Experts and the unit isoperating since pre-August, 1990 as per the 
document submitted by the unit. Further, Hon'ble Supreme Court vide its order dated 07.05.04 directs to 
close down all industrial units that havecome up in residential/ non-conforming areas in Delhi on or after 
1st August, 1990 shall close down. Letter issued to the unit on 12.01.09.The unit submitted its reply along 
with an affidevit unattested and date of establishing the unit is not mentioned), income tax assesment order 
for the year 1967-68 for M/s Sikand Steel Industries, copy of dissolution deed b/w Sh. Jugal kishore khurana 
& Sh. Ghanshyam Khurana, copy of SSI certificate dated 14.03.88 in the name of M/s Venus Industries etc.
 Decision on 18.12.08: Unit may be asked to submit BG of Rs. 50,000 under Air Act, 1981 valid for one year
 and progress report for installation of ECS for buffing machines and complaince of DG Set rules be submitted
 by 21.01.09. Unit submit BG and seeks time till Feb. Hearing of this case was also conducted by PGC on 
16.12.08 and directed to DPCC that unit submit the affisevit as directed by CMC. Next date of Hearing on
 09.03.09. A copy letter also received from COI that the unit cannot be closed as it started operating before 1990.
	Decision on 21.01.09: Ask the unit to file an affidavit for installing and operating ECS properly. Call on 18.02.09.
Decision on 20.02.09:  Issue reminder. Call on 25.03.09. Unit submitted an affidavit for installing and operating ECS properly. 
	Further, an inspection was carried out by Engineer Trainees on 12.03.09 w.r.t. PGC hearing. During inspection it was observed that the ECS found operating. Stack height of the DG set was not adequate.  PGC hearing was held on 20.02.09 and it was decided that the complainant study the inspection report and give comments. Next DOH is 15.04.09. 
	Ask the unit to raise the stack height of the D.G. Set as per D.G. Set norms. Call on 05.05.2009

	5
	Complaint against Bauji Ka Dhaba at Garden of Five Senses, Village Saidulajaib, N Delhi-30
	Restaurants
	The premises was inspected by DPCC Officials on 04.04.08 w.r.t. a public complaint received through CMO. There are two restaurants namely M/s Magique Restaurant and M/s Bauji ka Dhaba. As decided in CMC on 11.04.08,letter was issued to the Chairman, DTTDC on 30.04.08 regarding deficiencies observed during inspection. Reply received from DTTDC on 18.07.08 along with reply of individual unit. As decided in CMC on 13.08.08, the file was put up administratively and as approved, letter issued to M/s Bauji ka Dhaba to install ETP, apply for CTE with valid MCD and Police license & use the DG Sets having necessary acoustic enclosure and adequate stack height. Reminder issued on 30.09.08 to the unit. Reminder letter issued to both the units on 30.10.08. A reply received from Bauji Ka Dhaba stated that they have applied for CTE in the name of Annapurna Restaurant and they have already installed oil & grease starp since their seating capacity is below 50. Unit came for personal hearing on 18.12.08 and it was decided that It has file paper for Unit came for personal hearing, it has seating capacity of 120 as per PGRC I/R. Unit is directed to install ETP immidiatly and submit adequacy report 
failing which action as per law will be taken. The progress report must be submitted by 21.01.09. Letter issued 
on 09.02.09.  Reply submit its reply on 17.02.09 and inform that the ETP has been installed and have requested
to IPU for adequacy report.
	Decision on 21.01.09: Call on 18.02.09.
Decision on 20.02.09: Call on 25.03.09.
	 
	Send a letter to I.P. University and unit both for expediting adequacy report. Call on 05.05.2009

	6
	M/s Amit Metal Company, E-168, Mayapuri Indl. Area, Ph-II, Delhi-64
	Computer scrap godown
	An inspection was carried out by engineer trainee on 17.02.09 w.r.t. a public complaint. During inspection, unit found operating and engage in segregation of computer scrap.
	Decision on 20.02.09: Ask the unit to apply for CTE and also to clarify the method of disposal of the scrap. Call on 25.03.09.
	Letter issued to the unit on 17.03.09. Reply awaited.
	Issue final reminder. Call on 05.05.2009

	7
	M/s Delight Powers, C-101, Mayapuri Indl. Area, Ph-II, Delhi-64
	Casting, assembling and trading of batteries
	An inspection was carried out by engineer trainee on 17.02.09 w.r.t. a public complaint. During inspection, unit is engaged in casting, assembling and trading of batteries. No air pollution control device is provided. Unit have no CTE/CTO or govt. license
	Decision on 20.02.09: Issue SCN for closure u/s 31(A) of the Air Act. Call on 25.03.09.
	Notice issued to the unit on 17.03.09. reply awaited.
	Issue final reminder. Call on 05.05.2009

	8
	M/s Inder Battery, B-101, Mayapuri Indl. Area, Ph-II, Delhi-64
	Locked
	An inspection was carried out by engineer trainee on 17.02.09 w.r.t. a public complaint. Premises found lock.
	Decision on 20.02.09: Notice bp pasted on the premises to disclose the activity being carried out in the premises as unit found locked during the inspection. Call on 25.03.09.
	Notice pasted on the premises on 24.03.09 and unit found locked.
	Issue final reminder. Call on 05.05.2009

	9
	M/s A. D. Gents Parlour, KG-3/6, G/F, Vikas Puri,  Delhi-18.
	Salon
	Inspection was carried out by Er. Trainees on 31.12.08 and it was observed that the premises is used as a salon at G/F and had one Gen Set of 1.2 KVA (approx) as they have no Electricity supply. Kerosene oil was leaking from the Gen Set.  Unit is operating in non conforming area.
	Decision on 20.02.09: Issue letter to control noise or putting alternate arrengements for the electricity supply. Call on 25.03.09. 
	Letter issued to the unit on 17.03.09. Reply awaited.
	Issue final reminder. Call on 05.05.2009

	10
	Complaint against M/s Auto wise Service Station at PP-39, Road No.- 10, Anand Parbat Indul Area, Delhi-05.
	Service Station
	Inspection is carried out by trainee Engineers on 27.01.09 and during the inspection it was observed that:  
-The unit is engage in Service station.
-Unit has an ETP but in operation.
-One DG Set of 7.5 KVA without acoustic enclosure and stack height.
-Unit did not comply with HWM Rules.
	Decision on 20.02.09: Issue SCN for closure under all three Acts. Call on 25.03.09.
	Notices issued to the unit on 17.03.09. Reply awaited.
	Issue final reminder. Call on 05.05.2009

	11
	Complaint against M/s Ashoka Food Products, 19/99, West Moti Bagh, Sarai Rohilla, Delhi
	Dal Mill
	Inspection is carried out by trainee Engineers on 19.02.09 and during the inspection it was observed that the unit is engage in Dal Mill. Unit is operating in non conforming area.
Unit has two cyclone which in operation, but still dust was observed.
Noise was observed near machines.
	Decision on 20.02.09: Send to COI. Call on 25.03.09.
	Letter issued to COI on 18.03.09. Reply awaited.
Further, one more complaint has been received against the said unit. 
	Issue final reminder. Call on 05.05.2009


	Sl.No
	Name of the unit
	Activity
	Earlier Decision, if any
	ATR/Remarks
	Decision on 25.03.2009

	1
	Vishwakarma Welding Works, G-44, Pocket-C, Sector-4, Bawana Indl. Area
	Mfg. of Plastic molded goods and engineering works on labour job
	_
	Applied for CTE on 14.01.2009 vide I.D. No. 28660.
Unit has submitted a representation requesting to issue consent.
	Issue Consent to Establish. Call on 05.05.2009

	2
	M/s. Bharat Exports, D-14,  SMA Indl. Area,Delhi-33.
	Mfg. of S. S. utensils, cutlery (without buffing & polishing).
	                          19.7.07
Show Cause Notice (SCN) u/s 31 (A) of  Air Act for the deficiencies observed, for the closure of the unit & for disconnection of electricity & Water supply to the unit.
                        20.11.07
Unit must satisfy DPCC through an affidavit of the satisfactory operation in the first half of the plot before doing any thing in the second half.
                       01.5.2008
Ask the unit to file Consent to Establish, adequacy report. Call on 03.06.2008.
                       10.09.2008
Ask the unit to file Bank Guarantee of Rs. 50,000 under Air Actvallid upto 06.02.2010. 
                       5.11.2008
Issue reminder to the unit asking for Bank Guarantee of Rs.  50,000 under Air Act valid upto 06.02.2010. Call on 17.12.2008
                      30.12.2008
SIT to re-inspect and report. Call on 11.02.2009
                       13.02.2009
Ask the unit to correct the deficiencies noted by SIT. Call on 25.03.2009
	Letter issued.                            
Reply received on 13.03.2009 stating that the deficiencies have been rectified.
	Ask the unit to file full compliance. Call on 05.05.2009

	3
	M/s Anjaneya Cold Storage Ltd. B-35, Lawrence Road Industrial Area, New Delhi-35
	 
	                       30.12.2008
Waste water generation is 73 KLD, SIT to inspect and report. Call on 11.02.2009.
                       13.02.2009
Ask the unit to correct the deficiencies noted by SIT and Biological STP  must handle both sewage and trade effluent fully. Call on 25.03.2009
	Letter issued.                            
Reply received on 13.03.2009 stating that the deficiencies have been rectified.
	Ask the unit to file fresh adequacy report from empanelled consultant of DPCC in view of the additional waste water being treated, affidavit for correction of deficiencies noted by SIT. Also ask the unit to clarify the contradictory statement wr.t. availability of ground water as at one place in the application it has mentioned ground water nil whereas in its reply it is informed that the water is being taken from the wells.  Call on 05.05.2009

	4
	Apex Automobile Pvt. Ltd., 470 FIE, Patparganj Indl. Area
	Servicing, Repairing & Washing of two wheeler vehicles
	                       11.12.2008
Consent to Establish granted.
                     13.02.2009
SIT to inspect and report. Call on 25.03.2009.
	Unit was inspected by SIT on 31.10.2008.
As per CMC decision dated 11.12.2008, CTE issued.
Applied for CTO on 19.01.2009 vide I.D. No. 28705.
Applied for authorization on 19.01.2009.
A complaint received from Sh. Ved Vrat Sharma regarding operation of the unit without CTO.
Unit has submitted a representation on 04.02.2009 requesting for early issuance of CTO.
SIT report to be discussed.
	Issue Consent to Operate in view of  SIT report. Call on 05.05.2009

	5
	Bahadur Singh & Sons Pvt. Ltd., A-28, Lawrence Road Indl. Area
	Food Products (Namkeen & Sweets)
	                               07.01.2009
Ask the unit to file CGWA clearance and to install Rain Water Harvesting system. Also ask the unit to install Solar Water Heating system in view of use of boilers and waste water recycling system. Call on 18.02.2009.
                           20.02.2009
Issue final reminder. Call on 25.03.2009
	Obtained CTO (R) on 18.09.2006 valid upto 25.07.08.
Applied for again CTO (R) on 19.08.08 vide I.D.No. 27005.
Reminder issued.
Reply received.
	Time allowed. Call on 05.05.2009

	6
	Cascade counsel- Tech Pvt. Ltd., 63/19, Rama Road, Najafgarh Road Indl. Area
	Mfg. of fire fighting Equipments.
	                               07.01.2009
Ask the unit to apply for Consent to Establish since it is establishing the unit at new address and old unit does not exist. Call on 18.02.2009. 
                              20.02.2009
Issue Consent to Establish. Call on 25.03.2009
	As per CMC decision, CTE issued.
	Issue consent to operate at 63, Rama Road, Najafgarh Road Indl. Area, Delhi. Call on 05.05.2009

	7
	M/s Sarwana Bhawan 
Janpath, Connaught Place
	Restaurent
	                  05.11.2008
Unit may be issued notice for applying for Consent to Establish for both the branches i.e.  Connaught Place & Shivaji Stadium, New Delhi in view of large number of seating capacity and likely air , water and noise pollution.
                 18.12.2008
Issue final reminder. Call on 21.01.2009
                  21.01.2009
Call on 18.02.2009
                  20.02.2009
Issue SCN u/s 31(A) of the Air Act, 1981 and u/s 33(A) of the Water Act, 1974. Call on 25.03.2009
	SCN issued on 23.03.2009.
Reply awaited
	Call on 05.05.2009

	8
	M/s Sarwana Bhawan, 
near Shivaji Stadium
	Restaurent
	                  05.11.2008
Unit may be issued notice for applying for Consent to Establish for both the branches i.e.  Connaught Place & Shivaji Stadium, New Delhi in view of large number of seating capacity and likely air , water and noise pollution.
                 18.12.2008
Issue final reminder. Call on 21.01.2009
                  21.01.2009
Call on 18.02.2009
                  20.02.2009
Issue SCN u/s 31(A) of the Air Act, 1981 and u/s 33(A) of the Water Act, 1974. Call on 25.03.2009
	SCN issued on 23.03.2009.
Reply awaited
	Call on 05.05.2009

	9
	Samara AutoMax Pvt. Ltd.
A-17, Mayapuri Ind Area, Phase - I, New Delhi - 64
	Automobile Service Station
	                             11.07.2008
The unit has filed an affidavit saying it will not use the ground water. Let him shut the borewell , show proof of drawing municipal water and file adequacy report of ETP. Call on 06.08.2008.
                                06.08.2008
Let us wait for adequacy report to be filed. If there is any ground water drawl that must be closed down and confirmed to CMC Call on 03.09.2008.
                              03.09.2008
Issue last and final reminder to submit adequacy report by 07.10.2008. Call on 7.10.2008.
                            07.10.2008
Ask the unit to file Bank Guarantee of Rs. 1 Lakh each under three Acts. Call on 06.11.2008
                             06.11.2008
Issue remincer. Call on 17.12.2008
                            18.12.2008
Issue Consent to Establish. Ask the unit to apply for Consent to Operate. Call on 21.01.2009
                             21.01.2009
Call on 18.02.2009
                              20.02.2009
Call on 25.03.2009
	CTE issued.
Letter issued to apply for CTO.
Reply received stating that they have already applied for water testing and stack monitoring, after getting the same from DPCC lab. they will apply for CTO.

Not Applied for CTO yet.
	Confirm the statement of unit from DPCC lab. Call on 05.05.2009. Let another empanelled lab to also give a report.

	10
	Delhi Milk Scheme, West Patel Nagar, Delhi
	Milk Processing
	                          21.01.2009
Ask the unit to file fresh adequacy report. Call on 18.02.2009
                          20.02.2009
Issue  reminder. Call on 25.03.2009
	Applied for CTO (R) on 04.10.2008 vide I.D.No. 24668.
Reminder issued.
Reply awaited.
	Call on 05.05.2009

	11
	Shree Satya Udyog, A-42/3, Mayapuri Indl. Area, Delhi.
	Offset Printing Press
	The unit was inspected by Er. Trainee on 18.11.08 w.r.t. a public complaint. During the inspection, the unit found operating and engage in offset printing. Unit has not complaince with the HWM Rules. As approved, letter has been issued to the unit on 16.12.08 to apply under HWM Rules and comfirm complaince in CMC on 17.12.08.
                           18.12.2008
Ask the unit to apply for authorisation under HWM Rules.
                          21.01.2009
Case be transferred to concerned CMC. Ensure this is listed in CMC on 18.02.2009
                          20.02.2009
Issue final reminder. Call on 25.03.2009
	Unit has applied for CTE and Authorisation under HWM Rules.
	Ask the unit to apply for Consent to Operate. Call on 05.05.2009

	12
	J. Mitra & Co. Ltd.,A-180, Ph-I, Okhla Industrial Area, New Delhi-110020 
	Repacking of medical diagnostic kits
	                        19.12.2008
As per the decision taken in CMC(Green) meeting dated 07.11.2008 it was decide to grant the Consent to Establish. Consent order has been prepared accordingly but still to be dispactched. In th mean time, during the inpection conducted by SIT w.r.t BMW case, it was found that unit is engaged in screen printing activity discharging the trade effluent. Accordingly, CMC(BMW) has intr-alia decided to ask the unit to apply for Consent to Establish under Orange category and consent under green category obtained by the unit be revoked.
In veiw of above, the consent under green category may not be dispatched and consent under green category be refused. Decision taken by the CMC(BMW) be implemented immdietly.
                       20.02.2009
Ask the unit to submit an affidavit w.r.t. statement made in its reply. Call on 25.03.2009
	Letter issued to the unit to submit an affidavit w.r.t. statement made in its reply.
Reply received with an affidavit.
	SIT-I to re-inspect and report. Call on 05.05.2009

	13
	Premier Sheild Pvt. Ltd., C-146, Lajpat Nagar-I, New Delhi-110024.
	Security Guard services
	                    20.02.2009
Inform the unit that this type of activty i.e. Security Guard Servcies office do not require consent. Call on 25.03.2009
	Letter issued to the unit. No reply received.
	No action. 

	14
	Advertisement of Hotel Hilton, Janakpuri, Delhi
	 
	                    20.02.2009
SIT-II to inspect and report. Also ask the unit to apply for Consent to Establish. Call on 25.03.2009
	SIT-II report to be discussed.
Letter  issued.
Reply awaited.
	Merge with the case with the Picadily Hotel in view of SIT report that its name is changed.

	15
	Inspection of Madhya Pradesh Bhawan, 2, Gopinath Bardolai Marg, Chanakyapuri, New Delhi-1100021 for “Pollution Free Area” certificate. 
	 
	                    20.02.2009
SIT-II to inspect and report. Call on 25.03.2009
	SIT-II report to be discussed.
	Department gives Consent to Establish and Consent to Operate and not the pollution free area certificate. For granting Consent to Establish, the unit has to apply for the same in the prescribed performa to be obtained from DPCC. Further SIT observed following deficiencies (i) Stack height of 125 KVA D.G. Set needs to be raised as per norms (ii) Reuse  of waste water and its treatment not found existing (iii) Rain water harvesting structure needs to be completed. 
Ask the unit to correct the above deficiencies noted by SIT and apply for Consent to Establish along with required documents. Call on 05.05.2009

	S. No
	Ref. No
	Name & Address
	EC Status 
	CTE status
	Bult Up Area
	Water / Waste Water details
	Total Project Cost
	Date of Commissioning
	Earlier Decisions
	ATR/REMARKS
	Decision on 25.03.2009

	1
	SA-1
	Campion Properties Ltd (Shoping Centre At ex Hotel Ranjit Site, Maharaja Ranjit Singh Marg)
	22-04-08
	CTE issued on 14.05.2008
	30556sqm
	145KLD\Dis-58.8(STP)
	80crores
	 
	                             07.01.2009
SIT deficiencies largely being met. Call on 18.02.2009 with ambient air quality data.
                               20.02.2009
Ask the unit to submit six monthly monitoring report as envisaged in the Environmental Clearance, to SEIAA, Delhi. All the monitoring report should be from the laboratory approved by DPCC. Call on 25.03.2009
	Letter issued.
Reply awaited.
	Issue final reminder. Call on 05.05.2009

	2
	SA-2
	G.P. S Developers & Contractors Pvt Ltd , West Gate Mall, 4,5 & 6 Shivaji Place District Center, Rajagarden
	 
	Consent to Establish/ NOC  valid upto  23-04-07                     vide Consent No.- 14249 
	10728Sqm
	10Kld(MCD),120KLD(G.W)/
	45crores(72crores Gross)
	04.09.08
	                             21.01.2009
The unit did not come for personal hearing today and sought 15 days time. It has applied for Consent to Operate but not submitted photographs substantiating the compliance of SIT noted deficiencies. Ask the unit to do so. Call on 18.02.2009.
                               20.02.2009
Issue reminder. Call on 25.03.2009
	Reply received.
	Issue letter to submit full compliance with supporting documents like photographs and report etc. Call on 05.05.2009

	3
	SA-6
	West End Mall, Janak puri Disrict Centre, New Delhi
	EC obtained on 29.10.2008
	CTE issued
	15000Sqm in I/R
	30KLD in I/R
	44 Crores
	15.5.08
	                              15.10.2008
Ask the unit to file environmental clearance and also apply for Consent to Operate immediately. Call on 24.11.2008.
                             24.11.2008
Ask the unit to file item-wise compliance affidavit of environmental clearance's conditions. Issue final reminder to apply for Consent to Operate. Call on 07.01.2009.
                               07.1.2009
60 days is not required for filing itemwise compliance. Call on 18.02.2009
                                20.02.2009
Issue final reminder. Call on 25.03.2009
	Reminder issued.
Reply awaited.
	Issue final reminder. Call on 05.05.2009

	4
	SA-8
	Sewa International Fashion Ltd. (City Square Mall), Plot No 7, Shivaji Place, Rajouri Garden, Delhi
	Built up area 
Plot No 7 :   10794.61 sqm 
Plot No 8 :   11791.6 sqm
	Applied for Consent to Establish in two different names for plot no 7 & 8
	Built up area 
Plot No 7 :   10794.61 sqm 
Plot No 8 :   11791.6 sqm
	Plot No 7 : 100 KLD
Plot No 8 : 69.2 Kld
	Plot No 7 : 25.8 Cr.
Plot No 8 : 21.07 Cr.
	Plot No 7 : Dec, 2005
Plot No 8 : Dec, 2005
	                                   20.02.2009
SIT noted the following deficiencies:-
(i) Sludge tray should be provided under the filter press.
(ii) Regular cleaning of oil & grease trap is required as floating scum was observed.
(iii) Washing waste water of garbage room should be channelized into STP.
(iv) No solar water heating system exist.
(v) Oil & Grease trap with sedimentation tank needs to be installed before rain water harvesting pit.
(vi) Cleaning of rain water harvesting pit is required.
(vii) Stack height of the D.G. Set should be raised adequately as per the D.G. Set norms.
(viii) The permission for the borewell applied in CGWA  is required to be obtained and submitted.
 Ask the unit to correct the above said deficiencies and file Environmental Clearance. Call on 25.03.2009
	Letter issued.
Reply awaited.
	Issue final reminder. Call on 05.05.2009

	5
	SA-9
	Discovery State Pvt. Ltd. (City Square Mall), Plot No 8, Shivaji Place, Rajouri Garden, Delhi 
	Built up area 
Plot No 7 :   10794.61 sqm 
Plot No 8 :   11791.6 sqm
	Applied for Consent to Establish in two different names for plot no 7 & 8
	Built up area 
Plot No 7 :   10794.61 sqm 
Plot No 8 :   11791.6 sqm
	Plot No 7 : 100 KLD
Plot No 8 : 69.2 Kld
	Plot No 7 : 25.8 Cr.
Plot No 8 : 21.07 Cr.
	Plot No 7 : Dec, 2005
Plot No 8 : Dec, 2005
	                                 20.02.2009
SIT noted the following deficiencies:-
(i) Sludge tray should be provided under the filter press.
(ii) Regular cleaning of oil & grease trap is required as floating scum was observed.
(iii) Washing waste water of garbage room should be channelized into STP.
(iv) No solar water heating system exist.
(v) Oil & Grease trap with sedimentation tank needs to be installed before rain water harvesting pit.
(vi) Cleaning of rain water harvesting pit is required.
(vii) Stack height of the D.G. Set should be raised adequately as per the D.G. Set norms.
(viii) The permission for the borewell applied in CGWA  is required to be obtained and submitted.
 Ask the unit to correct the above said deficiencies and file Environmental Clearance. Call on 25.03.2009
	Letter issued.
Reply awaited.
	Issue final reminder. Call on 05.05.2009

	6
	SA-10
	Shoppers' Stop, Plot no 10, Shivaji Place, Rajouri Garden, Delhi
	Not Applicable
	Applied for CTE on 03.07.08.
	26454Sqm
	 
	Rs 19.6 Crores
	2007
	                                  23.12.2008
Ask the unit to apply for Consent to Operate. Call on 28.01.2009
                                  30.12.2008
Ask the unit to apply for Consent to Operate. Call on 28.01.2009.
                                28.01.2009
Issue final reminder for Consent to Operate. Call on 18.02.2009
                                 20.02.2009
Time allowed till 25.03.2009. Call on 25.03.2009
	Letter issued.
Unit submitted letter requesting for extension of time.
	Send a letter to Delhi College of Engineering for expediting adequacy report and also ask the unit to apply for Consent to Operate. Call on 05.05.2009

	7
	SA-20
	Magestic Agrotech Pvt Ltd,Commercial Building at Plot No. A, Block A, Community Centre, Vikaspuri, New Delhi
	Accorded on 13.06.2008
	CTE issued on 23.07.2008
	44,525 sqm
	MCD : 121 KLD / GW : 242 KLD / WW : 113 KLD (STP)
	47.5 Cr.
	March, 2009
	                        15.10.2008
Ask the unit to file six monthly monitoring report. Call on 24.11.2008
                           24.11.2008
Call on 07.01.2009
                            07.01.2009
Ask the unit to file stack emission report from recognized laboratory on the panel of DPCC. Also specify the exact stack height maintained at site. Call on 18.02.2009.
                              20.02.2009
Time allowed till 25.03.2009. Call on 25.03.2009
	Reply received.
	Ask the unit to increase the stack height of D.G. Sets as per the norms.  Call on 05.05.2009

	8
	SA-21
	PVR Rivoli, Baba Kharak Singh Marg, New Delhi
	Built up area : 802 sqm
	Applied on 21.11.2008
	802 sqm
	MCD : 1 KLD / GW : 3 KLD / Domestic : 1.3 KLD
	Rs. 3,37,28,054
	_
	                           07.01.2009
Ask the unit to file CGWA clearance and install Rain Water Harvesting system. Call on 18.02.2009
                            20.02.2009
Call on 25.03.2009
	Letter issued on 28.01.2009.
Unit submitted a letter stating that they have already filed an application to CGWA and RWH system installation is in process.
	Ask the unit to submit full compliance. Call on 05.05.2009

	9
	SA-22
	Office & Commercial mall at 27, K.G. Marg, Delhi by Parsvnath Developers Ltd.
	Built up area 16783 sqm
	16.06.2008
	16783 sqn
	MCD - 81.4 KLD / WW / 36 KLD
(No STP)
	244 crores
	2010
	                            15.10.2008
Ask the unit to file the following documents :- 1. Affidavit indicating date of start of construction and date of completion. 2.  Approved architectural drawing. 3. details of ground water drawl. 4. Permission from CGWA for ground water drawl. 5. Deatils of  waste water discharge   6. Details of D.G. Sets.7. Plot area. 8. Built up Area. 9. Total project cost including the land cost. Call on 24.11.2008
                              24.11.2008
Ask the unit to file full reply of CMC’s decision dated 15.10.2008. Call on 07.01.2009.
                             07.01.2009
Ask the unit to file tree cutting permission before the CTE application can be considered. Call on 18.02.2009
                              20.02.2009
Ask the unit to submit permission from CGWA. Call on 25.03.2009
	Letter issued.
Reply awaited.
	Call on 05.05.2009

	10
	SA-23
	Vishal Retail Ltd.,  1/1 Tilak Nagar, New Delhi
	Built up area : 222.95 sqm
	CTE issued on 15.01.2008.
	Built up area : 222.95 sqm
	_
	Rs. 39,98,500
	_
	                        24.11.2008
Ask the unit to apply for Consent to Operate. Call on 07.01.2009
                          07.01.2009
Call on 18.02.2009
                         20.02.2009
Call on 25.03.2009
	Letter issued on 08.12.2008.
Reply received wherein it is stating that they have applied for NMR on 16.12.2008 as we get testing report, we will apply for CTO.
	Call on 05.05.2009

	11
	SA-24
	Vishal Retail Ltd.,  156 out of Khadra No. 83/14, Village Hastsal, Colony G-1 Block, Uttam Nagar, New Delhi
	Built up area : 408.77 sqm
	CTE issued on 15.01.2008.
	Built up area : 408.77 sqm
	_
	Rs. 37,81,729
	_
	                           24.11.2008
Ask the unit to apply for Consent to Operate. Call on 07.01.2009
                           07.01.2009
Call on 18.02.2009
                            20.02.2009
Call on 25.03.2009
	Letter issued on 08.12.2008.
Reply received wherein it is stating that they have applied for NMR on 16.12.2008 as we get testing report, we will apply for CTO.
	Call on 05.05.2009

	12
	SA-25
	Vishal Retail Ltd.,  Palmohan Plaza-39, Block- A,2 Rajouri Garden, New Delhi
	Built up area : 104 sqm
	CTE issued on 15.01.2008.
	Built up area : 104 sqm
	_
	Rs. 43,87,500
	_
	                             24.11.2008
Ask the unit to apply for Consent to Operate. Call on 07.01.2009 
                             07.01.2009
Call on 18.02.2009
                              20.02.2009
Call on 25.03.2009
	Letter issued on 08.12.2008.
Reply received wherein it is stating that they have applied for NMR on 16.12.2008 as we get testing report, we will apply for CTO.
	Call on 05.05.2009

	13
	SA-27
	Vishal Retail Ltd.,  2, Road No. 85, Club Road, Punjabi Bagh(W), New Delhi
	Built up area : 1208 sqm
	CTE issued on 15.01.2008.
	Built up area : 1208 sqm
	_
	Rs. 84,41,385
	_
	                       24.11.2008
Ask the unit to apply for Consent to Operate. Call on 07.01.2009
                        07.01.2009
Call on 18.02.2009
                        20.02.2009
Call on 25.03.2009
	Letter issued on 08.12.2008.
Reply received wherein it is stating that they have applied for NMR on 16.12.2008 as we get testing report, we will apply for CTO.
	Call on 05.05.2009

	14
	SA-30
	PVR Vikaspuri Community Centre Main Market, Vikaspuri, New Delhi
	 
	Not submitted
	_
	_
	_
	_
	                           24.11.2008
Issue final reminder for reply. Call on 07.01.2009
                             07.01.2009
Issue final reminder. Call on 18.02.2009
                                20.02.2009
Issue final reminder. Call on 25.03.2009
	Reminder issued.
Reply awaited.
	Call on 05.05.2009

	15
	SB-1
	Paliwal Developers Ltd (DLF), Galleria shopping  Mall Plot no 1 B Mayur Vihar
	Formal order not provided. Only website reveals the project is clear on 06.06.2007.
	08.02.2007
	12324
	139(MCD)+GW wil be used as supplmentry source./42(WW)
	56.06Cr. / 106.12 Cr.
	 
	                                   30.12.2008
SIT to inspect and report. Call on 14.01.2009
                                        14.01.2009
In this case, MS to consult advocate and submit file administratively within a week. Call on 18.02.2009
                                  20.02.2009
Call on 25.03.2009
	Advocate has been consulted. Opinion obtained. Warning letter issued to the unit as per the advice of the advocate.
No reply received.
	Call on 02.04.2009

	16
	SB-3
	Cross River Mall, 9B & 9 C, Central Business Shahdara, New Delhi-95
	Not obtained
	07.1.08
	36109.67
	By tanker /71.2(ww)
	121.76Cr.
	2006
	                                14.01.2009
The unit came for personal hearing today.  It seeks time of two months to install the STP and also seeks lowering of the environmental damages and Bank Guarantee. The unit has already paid Rs. 1 Crores as environmental damages and should pay at least Rs. 1 Crores by way of Bank Guarantee valid for three years immediately along with an affidavit that it will complete the STP within 02 months positively. If this is done, the matter will be taken up on 04.03.2009 for appropriate order. Call on 02.02.2009 for filing Bank Guarantee and aforesaid affidavit. 
                              02.02.2009
Call on 20.02.2009
                                20.02.2009
Call on 25.03.2009
	Bank Guarantee not submitted and submitted a letter on 16.2.09 requesting for waive off the BG.
	Ask the unit to file completion report of STP which puts this case into the fourth category and if it reuses the treated waste water also, it gets further concession under fifth category. Call on 05.05.2009

	17
	SB-11
	MGF Developers Ltd Proposed Commercial Mall Namely  MGF City Mall at Khyberpass, New Delhi
	 29.02.2007
	21/10/05
	48216.481
	200(MCD)+696(GW)/ 225(WW)
	125Cr.
	 
	                                15.10.2008
Ask the unit to file six monthly monitoring report. Call on 24.11.2008
                                       24.11.2008
Call on 07.01.2009
                                 07.01.2009
Call on 18.02.2009
                                20.02.2009
Issue final reminder. Call on 25.03.2009
	Reminder issued.
Reply awaited.
	Call on 05.05.2009

	18
	SB-13
	Parsvnath Developers Ltd in construction with M/s OCL Ltd Construction of Integrated Station Building and commercial development at Inderlok Metro
	NA
	Applied for CTE on 19.12.08
	9596.6 Sqm, as per CTE appliacation
	29.5 KLD (DMRC-corporation and ground water)/12 KLD WW.
	19.37 crores
	october 2004
	                                      14.01.2009
The unit came for personal hearing today. The total project cost is Rs. 19.37 Crores and the mall is operational for more than 04 years. It has been discharging about 10 KLD of waste water and tapping ground water without CGWA clearance. Unit falls under category of the units for imposition of environmental damages of 1 % of the project cost and 2 % of the project cost by way of Bank Guarantee valid for three years. The unit seeks time to comply with. Time allowed till 18.02.2009. Call on 18.02.2009 for compliance. 
                                      20.02.2009
Call on 25.03.2009
	Bank Guarantee and Environmental Damages submitted. CTE issued.
	Ask the unit to apply for Consent to Operate before mall is made operational. Call on 05.05.2009

	19
	SB-15
	Omaxe  Ltd. at Netaji Subhash Place, New Delhi
	39390
	28/09/07
	31219.85
	165(MCD) /135    (WW)
	113.78Cr.
	2007
	                                  15.10.2008
Ask the unit to file six monthly monitoring report. Call on 24.11.2008
                                        24.11.2008
Call on 07.01.2009
                                   07.01.2009
Call on 18.02.2009
                                     20.02.2009
Issue final reminder. Call on 25.03.2009
	Reminder issued.
Reply received on 23.03.09 regarding six monthly monitoring report.
	Ask the unit to submit monitoring report for the parameters / items mentioned in the environmental clearance during construction phase. Call on 05.05.2009

	20
	SB-16
	Upaj Buildcon Pvt Ltd Construction of Parking and Commercial Building at Sec-10 Rohini
	CTE issued  on 11.04.2008.
	 
	21063.50 sq m
	MCD-10.1 KLD  GW-NIL  DIS.-8 KLD
	55.62 crore
	NA
	                          24.11.2008
Ask the unit to apply for Consent to Operate and complete the installation of STP and file its report by 07.01.2009. Also ask the unit to correct the deficiencies noted by SIT and file an affidavit. Call on 07.01.2009
                           07.01.2009
Issue reminder for correction of deficiencies noted by SIT. Call on 18.02.2009
                             20.02.2009
Issue final reminder. Call on 25.03.2009
	Reminder issued.
Reply awaited.
	Call on 05.05.2009

	21
	SB-21
	Mamram Majesty Mall , Plot no 2, Guru Harkishan Marg Road no 43, Pitampura New Delhi-83
	CTO issued.
	39692
	4496.8
	1.5(MCD)+8(GW)/ .5(WW)
	10.7Cr.
	 
	                                    24.11.2008
Paste letter issued to M/s VNV. Issue final reminder to Mamram Majesty Mall to apply for Consent to Operate. Call on 07.01.2009.
                                       07.01.2009
Call M/s VNV for personal hearing on 21.01.2009 at 6.30 PM.
Consent to Operate granted.
                                         21.01.2009
The unit did not come for personal hearing today. Issue notice for closure since the unit has not responded to the several communications sent to it. Notice for closure should be pasted on the premises to prevent unnecessary wastage of time.  Notice for closure be issued without waiting for minutes. Call on 18.02.2009.
                                        20.02.2009
Call on 25.03.2009
	CTO issued to Mamram Majesty Mall as per CMC(O) decision dt 7.1.09.
Notice for closure issued to M/s VNV and the same was hand deliered to the unit.Reply received from the unit stating that we are arrplying for Consent to Establish in Orange Category.However, not applied for CTE.
	Call for personal hearing on 09.04.2009 at 5.00 PM. Issue letter without waiting for minutes. If it fails to appear, necessary action will be taken. 

	22
	SB-22
	North Square Mall , F-1,2,3 Netaji Subhash Place, Pitampura, Near T.V.Tower, New Delhi
	 
	07.01.2008
	10342.96 (as per inspection) and 10721.27 sqm(as per affidavit)
	18(MCD)/ 14.4(WW)
	40.76 cr.
	june,06
	                              21.10.2008
The unit came for personal hearing today. The noise monitoring report is satisfactory; the effluent analysis report of Delhi College of Engineering is satisfactory w.r.t. the standards for discharge into the public sewer, while DPCC’s report for one of the food courts is beyond the norms. The crucial issue in this case is the setting up the STP to cover the 14.5 KLD of domestic cum trade effluent. The unit assured that it will install the STP within 02 months. Call on 24.11.2008 for compliance of installation of STP. 
                                     24.11.2008
Issue final reminder for STP compliance. Call on 07.01.2009
                                 07.01.2009
Ask the unit to file first interim report. Call on 18.02.2009. 
SIT indicates that there are other units in the same location which have not taken Consent to Establish. SIT to furnish the complete list for such units so that  notices may be issued for filling Consent to Establish immediatley. Call on 18.02.2009 for all such units.
                               20.02.2009
Ask the unit to submit interim progress report for STP installation. Call on 25.03.2009
	Letter issued.
Reply awaited.
	Call on 05.05.2009

	23
	SB-25
	Jaksons  Buildwell Private Ltd, Construcion of Commercial Mall name V3S Ring Road Mall at Plot no 21 Manglam Place,  Sec-03, Rohini, New Delhi
	 29.02.2008
	31/03/08
	51393.57 sq m
	MCD-231 KLD   GW-320 KLD   DIS.-347 KLD
	48 crore
	N.A
	                           24.11.2008
Ask the unit to apply for Consent to Operate immediately, failing which Bank Guarantee will be forfeited. Also ask the unit to correct the deficiencies noted by SIT and file an affidavit. Call on 07.01.2009.
                          07.01.2009
Ask the unit to indicate how it will reycle waste water and to install organic wet garbage composting system. Call on 18.02.2009
                         20.20.2009
Call on 25.03.2009
	Letter issued.
Reply received on 11.02.2009 stating that there is no provision for food/court in the building so installation of wet garbage composting system is not reqiured. 
Unit has encosed flow diagram of STP regarding recycling of treated water.
	Ask the unit to submit the confirmation for non existence of food court on an affidavit. Call on 05.05.2009

	24
	SB-26
	Jackson Buildwell, V3S Ring Road Mall, at 1B-3, Sector -10, Rohini.
	16/04/08
	23/10/07
	 
	MCD-206 KLD  GW-NIL  DIS.-70 KLD
	170 crore
	 
	                         24.11.2008
Ask the unit to apply for Consent to Operate immediately, failing which Bank Guarantee will be forfeited. Also ask the unit to correct the deficiencies noted by SIT and file an affidavit. Call on 07.01.2009.
                           07.01.2009
Call on 18.02.2009
                          20.02.2009
Call on 25.03.2009
	Letter issued.
Reply received stating that we will apply for CTO after comletion of this building project.
	Call on 05.05.2009

	25
	SB-28
	Aggarwal Plaza (P) Ltd., Plot no 29 & 31, CBD Shahdara Commercial Complex, Shahdara, Delhi
	Not obtained
	18.06.2008
	18000 (as per CTE)
31000 (as per MOEF)
	MCD - 40 KLD/ GW - 120 KLD / WW - 100 KLD
	78.55 crores
	Dec, 2008
	                           15.10.2008
Ask the unit to apply for Consent to Operate. Call on 24.11.2008
                            24.11.2008
Issue final reminder to file environmental clearance. Also ask the unit to apply for Consent to Operate. Call on 07.01.2009.
                           07.01.2009
Call on 18.02.2009 for environmental clearance and Consent to Operate both.
                             20.02.2009
Call on 25.03.2009
	Letter issued.
Reply received on 18.02.09 stating that we have applied for EC and adequacy report, as soon as we will receive the said documents we will apply for CTO.
	Call on 05.05.2009

	26
	SB-34
	Aggarwal Prestige Mall, Plot No 2, Road No 44, Facility Centre, Rani Bagh Road, Pitampura
	Built up area : 7324.12 sqm
	24.06.2008
	7324.12
	MCD-25 KLD / GW - 33 KLD / WW - 19.5 KLD (STP)
	36.36 crores
	2005
	                            15.10.2008
Ask the unit to file six monthly monitoring report. Call on 24.11.2008
                                24.11.2008
Ask the unit to file compliance of  STP. Call on 07.01.2009.
                               07.01.2009
Call on 18.02.2009        
                              20.02.2009
Call on 25.03.2009
	Letter issued on 8.12.2008
Reply received on 24.12.2008 sating that construction of the building is still under progress.
Compliance report regarding installation of STP will be submitted after the installation of STP.
	Call on 05.05.2009

	27
	SB-35
	Vishal Retail Ltd., A Block, plot no.1, Ground Floor, Ph-2, Opp. Satyawati College, Ashok Vihar, New Delhi
	_
	Applied
	 
	 
	 
	 
	                            24.11.2008
Ask the unit to apply for Consent to Operate by 07.01.2009. Call on 07.01.2009.
                              07.01.2009
Call on 18.02.2009
                             20.02.2009
Call on 25.03.2009
	Letter issued on 10.12.2008
Reply received on 07.01.2009 sating that we will apply for CTO after getting Noise testing report of D.G. set.
	Call on 05.05.2009

	28
	SB-36
	Vishal Retail Ltd.,  E-6 Outer Ring Road, Prashant Vihar, New Delhi
	_
	Applied
	 
	 
	 
	 
	                             24.11.2008
Ask the unit to apply for Consent to Operate by 07.01.2009. Call on 07.01.2009.
                            07.01.2009
Call on 18.02.2009
                            20.02.2009
Call on 25.03.2009
	Letter issued on 10.12.2008
Reply received on 07.01.2009 sating that we will apply for CTO after getting Noise testing report of D.G. set.
	Call on 05.05.2009

	29
	SB-37
	Vishal Retail Ltd.,  D-2/21 Krishna Nagar, Delhi
	_
	Applied
	 
	 
	 
	 
	                        24.11.2008
Ask the unit to apply for Consent to Operate by 07.01.2009. Call on 07.01.2009.
                          07.01.2009
Call on 18.02.2009
                            20.02.2009
Call on 25.03.2009
                       
	Letter issued on 10.12.2008
Reply received on 07.01.2009 sating that we will apply for CTO after getting Noise testing report of D.G. set.
	Call on 05.05.2009

	30
	SB-38
	Vishal Retail Ltd.,  E-367, Nirman Vihar, Vikas Marg, New Delhi-92
	_
	Applied
	 
	 
	 
	 
	                                24.11.2008
Ask the unit to apply for Consent to Operate by 07.01.2009. Call on 07.01.2009.
                                  07.01.2009
Call on 18.02.2009
                                  20.02.2009
Call on 25.03.2009
	Letter issued on 10.12.2008
Reply received on 07.01.2009 sating that we will apply for CTO after getting Noise testing report of D.G. set.
	Call on 05.05.2009

	31
	SB-42
	Commercial cum Multiplex Project by Yogi Raj Promoters Pvt. Ltd. Plot No SU, Sector-22, Rohini
	EC received on 23.10.2008
	 
	88938.06 sqm
	MCD - 116 KLD / GW - Stand By / WW - 244 KLD
(STP Proposed)
	440 crores
	October, 2008
	                            14.01.2009
MS to inspect and report. Call on 18.02.2009
                             20.02.2009
Unit was inspected by MS and it was found that layout plan submitted by the unit is not as per the field conditions.  Ask the unit to submit revised layout plan. Call on 25.03.209.
	Letter issued.
Reply received on 23.03.09 including layout plan of the project and six monthly monitoring report. 
Unit also stated  that we would seek permission from Forest Department for cutting any tree located within the project site.
	Ask the unit to submit tree cutting permission. Call on 05.05.2009

	32
	SB-44
	Prithvi Sound Products Company (P) Ltd. (KLJ Tower North), Plot No B-5, District Centre, Wazirpur, Delhi
	_
	08.08.2008
	8058.89 sqm
	MCD - 34.7 KLD / GW - Not mentioned / WW - 31 KLD / STP - 40 KLD
	40.01 Cr. 
	2008
	                  23.12.2008
The unit came for personal hearing today. It claims that it has placed an order for STP which will be installed within 03-04 months. Let the unit file an affidavit to this effect. Call on 07.01.2009.
                   07.01.2009
Let the first interim report on STP installation be filed by 18.02.2009. Call on 18.02.2009
                  20.02.2009
Ask the unit to submit interim progress report for STP installation by 18.03.2009. Call on 25.03.2009
	Letter issued.
Reply received on 24.03.09 stating that insatllation of STP is going on and same will be completed by end of April 2009. After that adequacy report will be obtained from DCE within three month.
	Call on 05.05.2009

	33
	SB-53
	Vardhman Premimum Mall, Deepali Chowk, Outer Ring Road, Saraswati Vihar, New Delhi-34
	 
	 
	 
	 
	 
	 
	                        23.12.2008
SIT inspection report to be shown to advocate for advising regarding prosecution / closure / any direction. File be submitted administratively to the Chairman, DPCC by Saturday i.e. 27.12.2008.
                         16.03.2009
Send a letter to the unit to clarify the reason for varience in the discharge of waste water as the unit has earlier reported it as  15.51 KLD vide its letter dated 11.11.2008 and now it claims the waste water discharge as 1.86 KLD, along with an affidavit stating the actual waste water discharge. Issue letter without waiting for minutes.  File be submitted administratively also. Call on 25.03.2009.
	Notice for Closure issued to unit on 9.2.09 and same was delivered by hand also on 19.02.09.
Unit has submitted reply w.r.t. Notice for Closure on 20.02.09.
Letter issued again on 19.3.09, as per decision of CMC on 16.03.09 .
Reply received on 23.03.09 with an affidavit stating that presently waste water discharge is 1.86 KLD and by mistake waste water discharge (15.51 KLD) was mentioned vide earlier letter dated 11.11.08.
File has been submitted administratively also.The matter has been discussed with the concerned advocate by the Chairman.
Case is listed for 27.3.09
	Call on 02.04.2009

	34
	SB-54
	SMS Infrastructure Limited, Kamla Nagar, Mandelia Chowk, Delhi
	 
	Applied on 15.10.2008
	Built up area : 25561.32 sqm
	MCD : 15 KLD / GW : Nil / WW : Nil
	160 Crores
	April, 2010
	                     21.10.2008
SIT to inspect and report. Call on 24.11.2008
                    24.11.2008
Ask the unit to file the tree cutting permission report. Call on 07.01.2009
                     07.01.2009
Ask the unit to file enviornmental clearance application to SEIAA immediately. Call on 18.02.2009
                     20.02.2009
Call on 25.03.2009
	Letter issued.
Reply awaited.
	Call on 05.05.2009

	35
	SC-9
	Shantiniketan Buildwell Ltd. (Proposed Office Cum Commercial cum Complex At Plot D-3, P-3, B , Saket)
	16/10/2007
	CTE issued on 08.04.08
	16616 sq. m
	MCD-145 KLD     GW-nil    Discharge-70 KLD
	70 crore
	Aug.2008
	                           21.10.2008
Ask the unit to apply for Consent to Operate. Call on 24.11.2008
                           24.11.2008
Issue final reminder to the unit to apply for Consent to Operate, failing which Bank Guarantee will be forfeited. Call on 07.01.2009.
                           07.01.2009
Return the Consent to Operate application received by post. Ask the unit to file proper Consent to Operate application along with adequacy report of ETP/ECS. Call on 18.02.2009
                            14.01.2009
Call on 18.02.2009
                            20.02.2009
Call on 25.03.2009
	Unit has applied for CTO along with Adequacy report on 16.03.2009.
	SIT-II to inspect and report. Call on 05.05.2009

	36
	SC-14
	DLF Universal Ltd.  Construction of Commercial Complex name DLF Court Yard at  Plot No. A4 & P-1A,  Saket Place, New Delhi-17
	15-01-07
	Applied for consent to Establish on 25-09-07
	 
	 
	 
	 
	                                 04.03.2009
SIT-I & SIT-II both to inspect immediately and submit report on 12.03.2009. Depending on the criticality of the conditions, the file may either be submitted administratively or call on 12.03.2009
                                 12.03.2009
The SIT- I & SIT-II inspection report may be carefully studied and case be submitted administratively covering all the points within a week without waiting for the minutes.
                                 20.03.2009
Advocate be consulted and appropriate action with draft order be put up in CMC on 25.03.2009. Call on 25.03.2009.
	 
	File be put up administratively without waiting for minutes.

	37
	SC-37
	Sothern Park, D-2 District Center Saket, New Delhi
	N.A
	Applied on 03.09.2008
	19227 sqm
	MCD : 100 KLD / GW - Nil / Discharge : 44 KLD
	80.37 Cr
	22.09.2007
	                      05.11.2008
Unit has filed a petition before Hon’ble High Court against the closure directions issued by DPCC.  SIT to inspect and report by tomorrow so that case may be defended appropriately.  MS to give a copy of SIT report to advocate and brief him accordingly. However, all efforts should be made to get such frivolous cases dismissed. 
                       06.11.2008
File to be put up administratively with High Court order of hearing on 07.11.2008.
                          21.01.2009
 Issue fresh Show Cause Notice giving 15 days time. Call on 18.02.2009.
                         20.02.2009
Call on 25.03.2009
	SCN issued. 
Reply receievd on 04.03.2009 regarding SCN.
	SIT-I to inspect and report and file to be submitted administratively.

	38
	SC-38
	Construction of commercial building at Plot No 1, City Centre, Sector-13, Dwarka by M/s Nettles Farms Pvt. Ltd. 
	EC submitted on 13.06.2008. 
	Issued on 08.07.08
	30192 sqm
	MCD-9 KLD   GW-168 KLD   DIS-68 KLD     
	Rs. 326 Crores
	June, 2009
	                                 15.10.2008
Ask the unit to file six monthly monitoring report. Call on 24.11.2008
                                 24.11.2008
Call on 07.01.2009
                                  07.01.2009
Ask the unit to file stack emission report from recognized laboratory on the panel of DPCC. Also specify the exact stack height maintained at site. Call on 18.02.2009.
                                    20.02.2009
Call on 25.03.2009
	Reply receievd from the unit along with test reports of stack emission.
	Ask the unit to increase the stack height of D.G. Set as per the norms.  Call on 05.05.2009

	39
	SC-41
	Vishal Retail Ltd.,  A-18, B Block, Mihan Co-Operative Society, Mathura Road, New Delhi
	Not applicable
	CTE issued on 19.03.2009.
	12500 as per SIT report
	MCD : 21 KLD / GW : Yes as per SIT / Dis : 16.8 KLD
	Rs. 4.26 Crores
	Occupied since 30th April, 2004
	                                             21.10.2008
The unit came for personal hearing today. It claims that it has stopped the restaurant and the effluent discharge is only domestic which, if calculated for 170 staffs comes to about 3.2 KLD. The unit, if it has to ensure that the restaurant remains out of bound, must submit a Bank Guarantee of Rs. 5 Lakhs valid for three years or install an STP to cater the total effluent so that no pollution is caused. Call on 24.11.2008.
                                         24.11.2008
Issue final reminder. Call on 07.01.2009
                                           07.01.2009
Ask the unit to file affidavit. Call on 18.02.2009
                                    20.02.2009
Issue Consent to Establish. Call on 25.03.2009
	As per CMC decision, CTE issued on 19.03.2009.
	Ask the unit to apply for Consent to Operate. Call on 05.05.2009

	40
	SC-44
	Construction of commercial building at Plot No 2, City Centre, Sector-13, Dwarka by M/s Nettles Farms Pvt. Ltd. 
	Not applicable
	CTE issued on 10.09.08
	15260 sqm
	MCD : 118 KLD / GW-77 KLD / WW : 33 KLD (only domestic)   
	144.73 crores
	June, 2009 (proposed)
	                                15.10.2008
Ask the unit to file six monthly monitoring report. Call on 24.11.2008
                                 24.11.2008
Call on 07.01.2009
                                 07.01.2009
Ask the unit to file stack emission report from recognized laboratory on the panel of DPCC. Also specify the exact stack height maintained at site. Call on 18.02.2009.
                               20.02.2009
Time allowed. Call on 25.03.2009
	Reply receievd from the unit along with test reports of stack emission.
	Ask the unit to apply for Consent to Operate before unit is made operational. Call on 05.05.2009

	41
	SC-47
	PVR Naraina, New Delhi
	Not applicable
	Applied on 21.11.2008
	3711 sqm
	MCD + GW = 3 KLD / Dis : 1.5 KLD
	Rs. 11.2 Crores
	July, 2001
	                           30.09.2008
Ask the unit to apply for Consent to Establish and full compliance of directions of CMC dated 31.07.2008. Call on 20.10.2008
                             21.10.2008
Issue reminder. Call on 24.11.2008
                              24.11.2008
Call on 07.01.2009
                            07.01.2009
Ask the unit to file CGWA clearance and details of discharge of waste water and its treatment. Call on 18.02.2009
                         20.02.2009
Call on 25.03.2009
	Letter issued to the unit to file CGWA clearance and details discharge of waste water and its treatment.
Reply received stating that they have already applied for CGWA clearance and there is no trade effluent.
	Ask the unit to file full compliance of earlier decision communicated. Call on 05.05.2009

	42
	SC-49
	The India Mall, New Friends Colony, New Delhi
	_
	_
	_
	_
	_
	_
	                           03.12.2008
Get reminder notice pasted on the premises. Call on 14.01.2009
                           14.01.2009
Call for personal hearing on 02.02.2009 at 6.30 PM.
                       02.02.2009
The unit did not come for personal hearing. The letter has been handed over by the Trainees, CMC to the owner of the building. Since it is operational mall, SIT to conduct detailed inspection and report. Call on 25.03.2009.
	SIT report to be discussed.
	Issue SCN for closure u/s 31(A) of the Air Act and u/s 33(A) of the Water Act. Call on 05.05.2009


	S. No
	Ref. No
	Name & Address
	EC Status 
	CTE status
	Bult Up Area
	Water / Waste Water details
	Total Project Cost
	Date of Commissioning
	Earlier decisions
	ATR/Remarks 
	Decision on 20.03.2009

	1
	A-1
	Controller & Audit General (C& AG) Office Complex at  Pocket 9, Deen Dayal Upadhyay Marg, New Delhi Rouse Avenue
	31-08-06
	CTE issued and valid upto 04.03.2008
	13,942.842 Sqm 
	MCD--97 KLD   /  25,600 KLD / 71.25 KLD
	66.6811 crores
	Nov-07
	                03.6.08
Ask the unit to file the itemwise compliance of Environmental Clearance conditions. Call on 11.07.2008.
                 30.09.2008
Ask the unit to file an affidavit stating item-wise compliance of environmental clearance's conditions. Call on 30.10.2008.
                    15.10.2008
Ask the unit to apply for Consent to Operate. Call on 24.11.2008
                      24.11.2008
Issue reminder. Call on 07.01.2009
                      07.01.2009
Call on 18.02.2009
                         20.02.2009
MS to speak to the cocerned in Controller & Audit General (C&AG) office. Call on 25.03.2009
	Applied for Consent to Operate.
	File be put up administratively.

	2
	A-7
	DLF Limted, Construction of Office Complex at DLF Centre Sansad marg
	_
	Applied for CTO on 22.08.2007and for CTE on 21.05-08. 
	18,553.8 Sqm
	MCD 13.33 KLD GW--61.17 KLD / 34 KLD
	3,04,163,477 crores
	1991
	                           30.12.2008
Ask the unit to file effluent analysis report from the laboratory approved by DPCC and to raise the D.G. Set stack height as per norms . Call on 14.01.2009.
                             14.01.2009
Issue final reminder. Call on 18.02.2009
                              20.02.2009
Letter be sent to increase the stack height of D.G. Set as per norms already indicated.  Call on 25.03.2009
	Letter issued.
Reply awaited.
	Call on 09.04.2009.

	3
	A-13
	Hotel Queen Road Pvt. Ltd., 19, Ashoka Road, Connaught Place, New Delhi-01
	Not applied
	Granted on 01.06.2006
	36.21 Sqm in Application & 20991Sqm in Reply   
	255
	65.50 crores
	___
	                                      05.11.2008
SEE to draft an appropriate letter covering the earlier deficiencies in respect of the reply recevied from the unit. File to be shown adminsitratively before issuance of the letter to be signed by MS next week. Compliance of that letter by 10.12.2008. 
                                    11.12.2008
Examine the reply of the unit carefully and submit administratively. Call on 14.01.2009
                                            14.01.2009
Ask the unit to file full compliance of the earlier letter issued. Call on 18.02.2009
                                       20.02.2009
Ask the unit to obtain and submit  Environmental Clearance. Call on 25.03.2009
	File has been submitted administratively in respect of letter received fromMOEF Vigilance.
	Call on 09.04.2009

	4
	A-16
	D.D. Properties Pvt., Plot No 68 & 68/1, Najafgarh Road, Delhi
	Pending with MOE&F and also with SEIAA
	Applied on 31.101.2008
	__
	__
	__
	__
	                       11.12.2008
The unit came for personal hearing today. It has two live applications for environmental clearance and should immediately withdraw its environmental clearance application from MOEF in view of SEIAA notified for Delhi and pursue its environmental clearance application before the SEIAA. Call on 14.01.2009.
                      14.01.2009
Call on 18.02.2009
                        20.202.009
Call on 25.03.2009
	Unit has submitted a letter stating that they have submitted a letter to MOEF on 19.12.2008 for withdrawl of EC application.
	Call on 05.05.2009

	5
	A-17
	G.M. Northern Railway, Head Quarters, Ministry of Railway, Baroda House, New Delhi-110001
	03.09.2008
	Not applied.
	__
	__
	__
	__
	                    24.11.2008
Ask the project proponent of new Ajmeri Gate Railiway building to file Consent to Establish application and a copy of Environmnetal Clearance  immediatley. The unit must also file detailed explanation of the traffic plan so that  the environmental angle in terms of air/water/noise can be properly appreciated and handled accordingly. Call on 07.01.2009.
                        07.01.2009
Ask the unit to file affiavit for itemwise compliance conditions of environmental clearance and also apply for Consent to Establish. Call on 18.02.2009
                          20.02.009
Issue reminder. Call on 25.03.2009
	Reminder issued.
Reply awaited.
	Call on 05.05.2009

	6
	A-19
	P.P. Buildwell,Constrcuion of Conventional Center , District Center, Janak Puri, Delhi
	Built up rea : 4434.3 sqm
	CTE issued on 25.07.2008
	Built up rea : 4434.3 sqm
	__
	Rs. 12,87,79,858
	__
	                               15.10.2008
Ask the unit to apply for Consent to Operate and also file adequacy report. Call on 24.11.2008
                                  24.11.2008
Issue final reminder for Consent to Operate and Adequacy Report, failing which Bank Guarantee will be forfeited.   Call on 07.01.2009.
                                   07.01.2009
Time allowed till 18.02.2009. Call on 18.02.2009
                                 20.02.2009
Call on 25.03.2009
	Letter issued on 28.01.2009.
Reply awaited.
	Issue letter to Delhi College of Engineering for expediting adequacy report. Call on 05.05.2009

	7
	A-20
	Bharat Sanchar Nigam Ltd., CTO Project, ARA Centre, Jhandewalan, Delhi
	Built up area : 13655.71 sqm
	Applied on 25-04-08
	13655.1 Sqm
	MCD-35 KLD And GW 30 KLD   /  40 (STP)
	48.42crores
	31-07-07
	                           21.08.2008
The unit may be communicated the deficiencies noted by SIT and the water sampling done by DPCC and deficiencies of noise monitoring report  along with CGWA clearance .  Unit to file response by 17.09.2008. Call on 17.09.2008.
                           30.09.2008
Issue reminder. Call on 30.10.2008
                       05.11.2008
Issue  final reminder. Call on 10.12.2008
                      11.12.2008
MS to write to CMD. Call on 14.01.2009
                          14.01.2009
MS to speak CMD, BSNL. Call on 18.02.2009
                            20.02.2009
Call on 25.03.2009
	Letter issued on 09.02.2009.
Reply awaited.
	Issue final reminder. Call on 05.05.2009

	8
	A-21
	Purearth Infrastructure Ltd
20, Manohar lal Khurana Marg,
New Delhi - 6
	22.08.2008
	CTE issued on 14.07.2008
	217439 sqm
	MCD: 926 KLD / 787.1 KLD (STP)
	302 Cr.
	2011
	                      15.10.2008
Ask the unit to file six monthly monitoring report. SIT to inspect and report. Call on 24.11.2008
                           24.11.2008
SIT  report deficiencies be communicated for correction.  For the block which is near completion, ask the unit to apply for Consent to Operate  if it intends to start the operation of the same. Call on 07.01.2009.
                            07.01.2009
Call on18.02.2009 for full compliance of SIT deficiencies report. 
                               20.02.2009
Issue reminder. Call on 25.03.2009
	Reminder issued.
Reply received. The unit requested MOEF for change of name of project proponent. The MOEF has changed the name of project proponent in EC imposing the same conditions as issued earlier in the EC. The unit has submitted a request letter in DPCC for change of name of project proponet.
	Change of name allowed. Ask the unit to submit full compliance of earlier CMC decisions communicated. Call on 05.05.2009

	9
	A-23
	Construction of Bakkarwala Housing Complex by DDA
	EC awaited
	Applied on 30.05.2008
	24781.20 sqm
	191 KLD/ 145 KLD MCD / 123 KLD  (discharge into STP of Nilothi)
	45 Crores
	January, 2009
	                      05.11.2008
Issue fresh reminder. Call on 10.12.2008
                       11.12.2008
Issue final reminder. Call on 14.01.2009
                       14.01.2009
MS to speack Pr. Commissioner, DDA. Call on 18.02.2009
                         20.02.2009
MS to write a letter to Vice Chairman, DDA. Call on 25.03.2009
	Letter issued.
Reply awaited.
	Call on 05.05.2009

	10
	B-1
	Construction of proposed Hotel "Crown Plaza" at Plot No. 13-A,  13 B District Centre, Mayur Vihar, New Delhi-110096
	6/6/2007 & 16-07-07
	Granted 08-04-08
	50,702 Sqm
	MCD 270 KLD / 252 KLD (STP)
	22.50 crores
	2009
	                   24.11.2008
Ask the unit to correct the deficiencies noted by SIT during its inspection. Call on 07.01.2009.
                      07.01.2009
Unit should construct septic tank for waste water generation during construction phase. Barricades should be proivded around concrete batching plant. Call on 18.02.2009.
                         20.02.2009
Unit sought refund of the environment damages and Bank Guarantee. The Committee deliberated on the issue and decided against it because the units which have been granted exemption from environmental damages and Bank Guarantee on account of Commonwealth Games urgency have been imposed very stringent conditions of environmental protection which will involve a much larger investment. Call on 25.03.2009.
	Letter issued.
Reply received on 06.03.09 stating that we have already yaken action regarding construction of septic tank and barricades.
Unit submitted a letter on 22.01.09 requesting to refund ED and release BG as our project is also a part of CWG project.
Unit again requesting to refund ED & release BG as our project is also a part of CWG project and also requesting for extension of CTE for Plot no. 13 A & 13 B for one year from the date of expiry.
	Unit sought refund of the environment damages and Bank Guarantee. The Committee deliberated on the issue and decided against it because the units which have been granted exemption from environmental damages and Bank Guarantee on account of Commonwealth Games urgency have been imposed very stringent conditions of environmental protection which will involve a much larger investment. Ask the unit to submit six monthly monitoring report. The extension of validity of Consent to Establish for one year allowed. Call on 05.05.2009.

	11
	B-17
	Anush Finlease and Construction P Ltd,, Proposed Indus Hotel & Spa
Plot No. - 11, CBD, Shahdara, Delhi - 92
	08.07.2008
	24-04-08
	29,121.91 Sqm
	264 KLD in EC / 175 KLD (STP)
	160 Crores
	2008
	                  30.09.2008
Ask the unit to file six monthly monitoring report of environmental clearance's condition. Call on 30.10.2008.
                      15.10.2008
Ask the unit to file six monthly monitoring report. Call on 24.11.2008
                     24.11.2008
Issue final reminder. Call on 07.01.2009
                      07.01.2009
Issue final reminder. Call on 18.02.2009
                        20.02.2009
Issue final reminder. Call on 25.03.2009
	Reminder issued.
Reply awaited.
	Call for personal hearing on 09.04.2009 at 5.30 PM.

	12
	B-19
	Brilliant Buildtech Private Ltd, Shalimar Bagh District Centre NC-NW
	Built up area is 19111.14 Sqm
	16-05-08
	19111.14 Sqm
	MCD 143.38 KLD / 74.63 KLD (STP)
	110 Crores
	Sept---2009
	                      24.11.2008
The unit came for personal hearing today. It has continued the excavation activity without Consent to Establish and therefore environmental damages of 0.05 % of the project cost and Bank Guarantee of the same amount is applicable here. The unit agrees to pay environmental damages of Rs. 5 Lakhs and Bank Guarantee of Rs. 5 Lakhs by 22.12.2008. If, the unit complies before that date, Consent to Establish be issued across the table. Call on 23.12.2008 for compliance.
                       30.12.2008
Call on 11.02.2009
                      13.02.2009
Ask the unit to apply for Consent to Operate. Call on 25.03.2009
	Letter issued.
Reply received on 06.03.09 stating that project is still under construction and would apply for CTO three months before commissioning of hotel.
	No action. Call on 05.05.2009

	13
	B-20
	Shalimar Social Club Society (REGD.), Plot No 9, B Block, Community Centre, Club Road, Shalimar Bagh, Delhi-88
	Built up area is 3450 Sqm
	21-05-08
	3450 Sqm
	MCD .8 KLD & GW .4 KLD / 1.8 KLD (Oil and Grease Trap)
	7.44 Crores
	June ----2008
	 03.6.08
SIT to inspect and report. Call on 11.07.2008
                   30.09.2008
Call on 30.10.2008
                    05.11.2008
Ask the unit to file effluent analysis report at the inlet and outlet from approved laboratory by DPCC. Call on 10.12.2008
                   11.12.2008
Call on 14.01.2009
                     14.01.2009
Issue Consent to Establish.
                      13.02.2009
Application may be taken on record and unit be asked to submit fresh noise monitoring report. Call on 25.03.2009
	Letter issued.
Reply awaited.
	Issue final reminder. Call on 05.05.2009

	14
	B-25
	Construction of Hotel at Plot No. 12, Mangalam Place, Rohini, N.Delhi by M/s Star Realty Private Limited,
M - 75, Greater Kailash, Part - I, New Delhi - 48
	Obtained on 30.7.08
	21.08.2008
	24389.62
	91 KLD
STP-82 KLD
	225 Cr
	 
	                         31.10.2008
The unit came for personal hearing today. It has filed an affidavit on 29.10.2008 giving item-wise compliance of Environmental Clearance conditions. It also confirms that despite all the pressure from DDA, unit has not started the construction in defiance of Air & Water Acts. SIT will inspect this premises and submit its report by 24.11.2008. In view of the above law complying behaviour of the unit, Consent to Establish granted and should be issued by next week positively after the minutes are approved. Call on 24.11.2008. 
                   24.11.2008
Ask the unit to file six monthly monitoring report. Call on 07.01.2009
                    07.01.2009
Call on 18.02.2009
                   20.02.2009
Issue final reminder. Call on 25.03.2009
	Reminder issued.
Reply received on 23.03.09 stating that due to some unavoidable circumstances we have still not able to commence construction work at site, so we have no information to furnish with regard to monitoring of our project. 
	No action. Call on 05.05.2009

	15
	C-7
	Jasmine Projects Private Ltd. , Plot No. 1 Vasant Kunj Mall, Vasant Kunj
	28-11-06
	15.05.06
	21367.68 sqm
	MCD-28.5 KLD / 22.8 KLD
	90 crores
	Mar-07
	                     16.02.2009
SIT inspected and found the following deficiencies :
(i) Proper working / inspection platform with approach ladder should be installed in the STP area. 
(ii) Unit should install separate garbage collection and segregation room in the building. Garbage room cleaning / washing water should be channelized to STP. Unit should also clarify the reuse of treated waste water.
(iii) Stack height of 125 KVA D.G. Set should be raised as per the norms. 
(iv) No information provided regarding energy conservation report. 

Ask the unit to correct the above deficiencies and submit an affidavit by 25.03.2009. Call on 25.03.2009
	Letter issued to the unit for correction of SIT defeciencies.
Reply received regarding SIT defeiciencies.
	Issue consent to operate. Ask the unit to submit all the requisite air / water monitoring report from approved laboratory of DPCC within 1 month. Call on 05.05.2009

	16
	C-16
	Uppal Housing Pvt. Ltd , Mehrauli Road, Village Chandahaula, Tehsil Hauz Khas, New Delhi
	Obtained on 29.09.2008.
	26-4-07
	49559.22 Sq. metre
	MCD-227 KLD, GW-Nil, Discharge-104 KLD
	110.884 Crore
	 
	                    31.10.2008
The unit came for personal hearing today. It has confirmed that it has not started any construction so far. It has also filed the item-wise compliance affidavit of all Environmental Clearance conditions. The Committee deliberated on the issue and decided to grant Consent to Establish with a condition that the SIT will inspect the premises and if any adverse situation is found it will be dealt with appropriately. Call on 06.11.2008 with SIT report. 
                    06.11.2008
Ask the unit to file the zonal plan of this area to confirm whether housing in rural area is permitted. Also ask the unit to file MCD sanctioned building plan. Call on 17.12.2008
                      30.12.2008
Call on 28.01.2009
                        02.02.2009
As already decided in CMC meeting dated 06.11.2008, ask the unit to file the zonal plan of this area to confirm whether housing in rural area is permitted. Also ask the unit to file MCD sanctioned building plan. Call on 25.03.2009
	Letter issued to the unit to file the zonal plan of this area to confirm whether housing in rural area is permitted. Also ask the unit to file MCD sanctioned building plan. 
Reply received regarding the same.
	Call on 02.04.2009

	17
	C-22
	 Squash and Badminton Stadium, Sri Fort Complex
	_
	Not applied
	NA
	NA
	NA
	NA
	              05.11.2008
Issue reminder. If no response received, action will be taken as per law. Call on 17.12.2008
               30.12.2008
Call on 28.01.2009
                 02.02.2009
Issue final reminder to Ms. Ish, Special Commissioner, CWG Project. Call on 25.03.2009
	Reminder issued to Special Commissioner, CWG Project to apply for CTE.
Reply awaited.
	MS to speak the official concerned. Call on 05.05.2009

	18
	C-25
	I.G.I.B. , CRRI Campus, Mathura Road, New Delhi
	08.05.2007
	Applied
	23413.38 M2
	MCD-58KLD, GW-NIL, Waste Water-46KLD
	46.26 Crore
	2010
	              30.09.2008
Ask the unit to file Environmental Clearance. Call on 30.10.2008
                 05.11.2008
Issue reminder. If no response received, action will be taken as per law. Call on 17.12.2008
                 30.12.2008
Call on 28.01.2009
                   02.02.2009
Ask the unit to file affidavit for itemwise compliance of enviornmental clearance's conditions. Call on 25.03.2009
	Letter issued to the unit to file affidavit for itemwise compliance of enviornmental clearance's conditions
Reply awaited.
	Issue final reminder. Call on 05.05.2009

	19
	C-26
	General Pool Office accomodation at INA, New Delhi-23
	5/6/2007
	Applied
	7073.34M2
	MCD-Nil,  GW-68.4KLD, Waste Water-55 KLD
	84 Crore
	Jan,2008
	               30.09.2008
Ask the unit to file an affidavit stating item-wise compliance of environmental clearance's conditions. Call on 30.10.2008.
               05.11.2008
Issue final reminder. Call on 17.12.2008
                 30.12.2008
Ask the unit to file permission from CGWA and itemwise compliance affidavit of environmental clearance's conditions by 28.01.2009. Call on 28.01.2009.
                 02.02.2009
Issue final reminder to Chairman, NDMC through MS, DPCC. Call on 25.03.2009
	Reminder issued to Chairman, NDMC to file CGWA permission and to file EIA Clearance.
Reply awaited.
	MS to speak the official concerned. Call on 05.05.2009

	20
	C-27
	Construction of International Convention Centre, Sector-24, Dwarka, New Delhi
	_
	Applied
	183000 metre square
	MCD-DJB, GW-Nil, Waste water-15,60,000 LPD
	3000 Crore
	Not Available
	                          03.12.2008
Issue final reminder to the unit to comply with the decision of CMC dated 31.10.2008 by 23.12.2008. Meanwhile, SIT may inspect and confirm whether the statement of the unit that it has stopped further activity after 4 % excavation is correct or not. Call on 23.12.2008.
                           30.12.2008
Perusal of the entire record shows that the unit has not filed Consent to Establish application at the Enquiry Counter but sent it by post without the project report of the unit. The unit be asked to file the project report as well as the requisite fee and the earlier fee filed by DDA may be returned forthwith to DDA as they are no longer the project proponent in this case. Call on 28.01.2009.
                           02.02.2009
Call on 25.03.2009
	Letter issued regarding compliance of CMC dated 30.12.2008. No reply received.
	Issue reminder. Call on 05.05.2009

	21
	C-32
	Army Welfare Housing Organization, Construction of residential project at plot No. 16, Sector 23, Dwarka, New Delhi
	EC obtained
	13.06.2008
	44004 sqm
	DJB-436 KLD / GW-Nil / Trade effuent - 314 KLD
	40 crores
	2010
	                05.11.2008
Issue reminder for Environmental Clearance  and put up the case in first agenda of SEIAA meeting. Call on 17.12.2008
                   30.12.2008
Unit may be asked to file the environmental clearance as environmental clearance is required first and not the compliance affidavit of the environmental clearance. Call on 28.01.2009.
                 02.02.2009
Ask the unit to file affidavit for itemwise compliance of enviornmental clearance's conditions. Call on 25.03.2009
	Letter issued to the unit  to file affidavit for itemwise compliance of enviornmental clearance's conditions. 
Reply awaited.
	Ask the unit to submit the compliance of environmental clearance conditions on original affidavit and also details of report etc. for the activity undertaken during construction phase. Call on 05.05.2009

	22
	C-33
	Construction of 5 star Hotel project at Plot No. 15 and 15 A, Non-Heirachial Commercial Complex, Jasola, Delhi by M/s Emmar MGF Land Pvt. Ltd.
	EC obtained on 23.04.08
	Issued on 30.07.08
	71693.80 metre square
	MCD-262KLD, GW-Nil, Discharge-236 KLD
	Rs. 149 Crores
	2010 (proposed)
	                      15.10.2008
Ask the unit to file six monthly monitoring report. Call on 24.11.2008
                         24.11.2008
Issue reminder. Call on 07.01.2009
                         07.01.2009
Call on 18.02.2009
                          21.01.2009
File be put administratively clarifing, why we can't refund the Bank Guarantee.
                         16.02.2009
Request considered and rejected in view of the fact that similar decision has been taken in all similarly placed projects. Inform unit accordingly. Call on 25.03.2009.
	Letter issued. No reply received.
CTE issued.
	Six monthly monitoring report submitted during construction phase do not speak anything about the measures taken by the unit. Unit be asked to submit the fresh six monthly monitoring report on affidavit along with requisite monitoring reports. Call on 05.05.2009

	23
	C-36
	Construction of modern Inter State Bus terminal (ISBT) at Sarai kale Khan, New Delhi by M/s Executive Engineer, Building Project Division, New Delhi.
	Not Available
	Not applied.
	Not Available
	Not Available
	Not Available
	Not Available
	                  05.11.2008
Issue reminder to DIMTS. Call on 17.12.2008
                   30.12.2008
Call on 11.02.2009
                    16.02.2009
MS to talk to DIMTS and get the application for CTE. Call on 25.03.2009.
	Unit has not applied for CTE.
	Write a letter to Commissioner, Transport for applying for Consent to Establish along with environmental clearance. Call on 05.05.2009

	24
	C-37
	Construction of Integrated Freight Complex at Sector 25 & 26, Dwarka Sub City, Phase-II, North West District., NCT of Delhi by M/s Delhi State Industrial and Infrastructure Development Corporation Ltd.
	Submitted on 24.09.2008
	Not applied.
	Not Available
	Not Available
	Not Available
	Not Available
	                05.11.2008
Issue reminder. Call on 17.12.2008
                   30.12.2008
Call on 11.02.2009
                    16.02.2009
MS to speak to Chief Engineer, DSIDC and get the application for CTE. Call on 25.03.2009
	Unit has not applied for CTE.
	Issue reminder. Call on 05.05.2009

	25
	C-38
	NBCC Commercial Centre, Plot NO 2, Community Centre, Phase-I, Okhla
	Obtained on 22.12.2008
	Applied on 13.03.2008
	25991 sqm
	DJB - 339 Lt/day
GW - Nil
WW - Nil
(STP proposed)
	190 crores
	Jan, 2009
	                   06.11.2008
Issue final reminder. Call on 23.12.2008
                    30.12.2008
Call on 11.02.2009
                    16.02.2009
Issue reminder. Call on 25.03.2009
	Reminder issued to the unit to submit an affidavit for item wise compliance of EIA clearance.
Reply awaited.
	Issue final reminder. Call on 05.05.2009

	26
	C-40
	Construction of IT Towers (Office Cum Reatil Complex) at F-79-80, Okhla, Phase-I, New Delhi by Mohan Machines Ltd., DLF Centre, Sansad Marg, New Delhi
	 
	23.06.2008
	54316.89 sqm
	total water  4130 KLD / Domestic & commercial use : 2700 KLD / WW : 2430 KLD
	102.2 crores
	October, 2010
	                        17.11.2008
This item was taken up as a table agenda item because unit had put out the advertisement for ‘Bhumi Poojan” in news paper. This implies the excavation activity, for which the unit did not have Consent to Establish so far. MS may draft a well thought out letter to be issued to the unit by tomorrow asking them to desist from any excavation work without taking Consent to Establish.
 
If, they do not comply with these directions, appropriate environmental damages will be a logical conclusion. Call on 03.12.2008 for compliance. SIT report also indicates the presence of the large number of trees and need to remove construction and demolition waste. This may also be brought out in the letter to be issued to the unit for seeking appropriate compliance. 
                           03.12.2008
SIT to inspect and report. Call on 23.12.2008
                           30.12.2008
Call on 28.01.2009
                            02.02.2009
Ask the unit to file affidavit for itemwise compliance of enviornmental clearance's conditions. Call on 25.03.2009
	Letter issued to the unit to  submit an affidavit for item wise compliance of EIA clearance.
Reply awaited.
	Issue final reminder for full compliance. Call on 09.04.2009

	27
	C-41
	Indian Oil Corporation Ltd., Bijwasan Hook up of Mathura – Jalandhar Pipeline with Tikrikalan 
	 
	24.06.2008
	 
	 
	 
	 
	                                03.09.2008
Ask the unit to file CGWA clearance. EE, CMC to check if EIA applicable. Compliance on rain water harvesting, composting and greening plan be sought. Call on 07.10.2008.
                               07.10.2008
CMC-III & CMC-I to check and confirm the status of public hearing and environmental clearance. Call on 06.11.2008.
                             06.11.2008
Wait for pubilc hearing completion and decision. Call on 23.12.2008
                             30.12.2008
Call on 11.02.2009
                                16.02.2009
Call on 25.03.2009
	Pubic hearing was conducted on 11.11.2008 and proceedings has been forwarded to MOEF.
	Ask the unit to submit the environmental clearance. Call on 05.05.2009

	28
	C-43
	Marc Hotel, Mahipalpur by M/s Dee Marks Hotel & Resorts
	Not Required
	Applied for CTE on 21.05.2008
	1600 sqm.
	GW: 70 Lit/day, DIS: 50 lit/day 
	8 crores
	August, 2008
	                         02.02.2009
The unit is drawing 36 KLD of ground water without CGWA clearance. It is taking a plea that CGWA clearance is not required. Unit be advised to read CGWA  notification where in South Distt. CGWA clearance is required. Ask the unit to file CGWA clearance, latest effluent analysis report of the treated waste water and adequacy report of 12 KLD ETP and to take necessary action for installation of Solar Water Heating system. Call on 25.03.2009.
	Letter issued for the compliance of CMC dated 02.02.2009.
Reply received stating that they are registered with CGWA for their tubewell and also unit has submitted adequacy report of 12 KLD ETP. Aslo, they have stated that in due course of time they will install Solar Water Heating System.
	Ask the unit to file full compliance of the CMC decision communicated earlier. Call on 05.05.2009

	29
	C-44
	Group Housing Complex at Vasant Kunj by Delhi Development Authority
	Not Available
	Not Applied
	Not Available
	Not Available
	Not Available
	Not Available
	                      30.09.2008
Issue final reminder. Call on 30.10.2008
                    05.11.2008
Issue final reminder. Call on 17.12.2008
                       30.12.2008
Call on 11.02.2009
                        16.02.2009
MS to write Ms. Ish, Special Commissioner, DDA to expeidte CTE and to know the findings of MOEF. Call on 25.03.2009
	Letter issued. No reply received.
	Call on 05.05.2009

	30
	C-45
	Army College of Medical Sciences Base Hospital, Delhi Cantonment, New Delhi
	Not Available
	Not Available
	Not Available
	Not Available
	Not Available
	Not Available
	                       07.10.2008
The file may be put up administratively with deficiencies noted by SIT. 
                      30.12.2008
Letter to be issued to the new address to file periodic report. Call on 11.02.2009
                      16.02.2009
Time allowed till 25.03.2009. Call on 25.03.2009
	Letter issued regarding correction of SIT defeiciencies. Reply received  regarding the same.
	File be put up administratively.

	31
	C-52
	Executive Engineer, Public Works Department, Building Project Division B-121, Prison Complex, Mandoli, Delhi-110093
	EC issued on 19.09.2008
	Applied on 04.12.2008
	1,31,184.726 sqm
	MCD - 625 KLD / WW - 843 KLD
	171 Crores
	December, 2011
	                       30.12.2008
Call on 11.02.2009
                    16.02.2009
Call on 25.03.2009
	Letter issued on 03.12.2008 for submitting compliance affidavit of environmental clearance's conditions. Unit has submitted the same.
	Six monthly monitoring report submitted during construction phase do not speak anything about the measures taken by the unit. Unit be asked to submit the fresh six monthly monitoring report on affidavit along with requisite monitoring reports. Call on 05.05.2009

	32
	C-55
	Instyle Motel Services (P) Ltd., KH. No 8/9, 5/21/1/2, 8/1/, 8/10, Airport Road, Samalkha
	EC obtained on 26.11.2007
	Applied on 03.02.2009
	Built up area : 47370 sqm
	DJB : 161 KLD / day / GW : 66 KLD (in case of addl. water requirement) / WW : 245 KLD / day
	Rs. 415 Crores
	Feb, 2009
	                                 16.02.2009
Ask the unit to file CGWA clearance immediately. Also ask the unit to submit water balance chart. Call on 25.03.2009
	Letter issued. To the unit to  file CGWA clearance immediately. Also ask the unit to submit water balance chart.
Reply awaited.
	Call on 05.05.2009

	33
	C-56
	Lodhi Property Company Ltd. (Formerly, Hotel Scopevista Ltd) Proposed Re-developoment of old Lodhi Hotel)
	EC obtained on 26.11.2007
	Applied for CTO on 05.02.2009
	Built up area : 47370 sqm
	DJB : 161 KLD / day / GW : 66 KLD (in case of addl. water requirement) / WW : 245 KLD / day
	Rs. 415 Crores
	Feb, 2009
	                  18.02.2008
Mr. Gautam Gulati, Area Finance Director, South Asia for Aman Resorts was present along with Mr. Abhijit Chatterji and he has filed a letter complying with the first condition through a Demand Draft of Rupees Two Crores, and aseeks time of 48 hours to comply with the furnishing of the Bank Guarantee of Rupees Two Crores. If the Bank Guarantee of Rupees Two Crores is filed with DPCC and is duly checked and approved by the Accounts Officer, DPCC by 20.02.2008. MS is authorized to issue a letter for Consent to Establish to the unit, and a separate letter may be issued to the Addl. Secretary, MoE&F indicating the decisions  taken by the Committee and enclosing the minutes of the Committee dated 05.02.2008 & 18.02.2008. This letter may be shown to Chairman, DPCC before issue.
                   16.02.2009
Ask the unit to file CGWA clearance. Also ask the unit to indicate whether it has got ISO 14001 certification.  Call on 25.03.2009
	Letter issued  to file CGWA clearance. Also ask the unit to indicate whether it has got ISO 14001 certification.
Reply awaited.
	Call on 05.05.2009

	34
	C-57
	Construction of HIG Multistoried house in Pocket-9A at Jasola, Delhi by The Executive Engineeer, South Eastern Division-1, Delhi Development Authority, E Block Market, Sarita Vihar 
	EC obained on 23.12.2008
	 
	 
	 
	 
	 
	                       16.02.2009
Issue reminder to  Ms. Ish, Special Commissioner, DDA. Call on 25.03.2009
	Reminder issued.
Reply awaited.
	Call on 05.05.2009

	35
	CW-8
	Table Tennis Sports Complex, yamuna Sports Complex
	24-01-07 jointly for Rugby Stadium also
	5/5/2008
	19500 Sqm in EC , 13527 in application
	MCD 75 KLD AND GW 125 KLD / 160 KLD IN MCD Sewer
	140 Crores
	2008
	               30.09.2008
Ask the unit to file proper affidavit for itemwise compliance of environmental clearance's conditions. Call on 30.10.2008.
                05.11.2008
Issue final reminder. Call on 17.12.2008
                    30.12.2008
Ask the unit to file compliance affidavit of operational phase of environmental clearance’s conditions. Call on 28.01.2009.
                    02.02.2009
Issue Consent to Establish. Unit may be advised to file the required documents at the earliest. Call on 25.03.2009
	Letter issued on 18.02.09 and personally delivered on 06.03.09.
CTE issued on 27.02.09 and personally delivered on 06.03.09. 
	Ask the unit to apply for Consent to Operate before the commissioning of the unit. Also issue reminder for compliance of earlier CMC decision. Call on 05.05.2009


