 Minutes of the 64th  meeting of the Committee Constituted for Deciding the Consent under Orange Category, held on 26.6.2008 in the Conference Room of Chairman, DPCC.

   The following persons attended the meeting:

1. Sh. J. K Dadoo, Chairman DPCC

2. Sh. K. Mahesh, Member Secretary, DPCC

3. Sh. S.K.Gupta, Head Chemical Engineering Deptt. ,IIT Delhi 

4. Sh. M. Dwarakanath, SSO, Deptt. of Env., GNCTD 

5.  EEs   CMC – I, & III.

6. EE and AEEs of PGRC

7. AEEs and JEE of CMC – I, II & III.

Sh. B. Kumar, SEE, DPCC & Sh. B.M.S. Reddy, EE, CMC-II, DPCC could not attend the meeting as they were on earned leave.

Following decisions were taken in the said meeting:- 
Agenda Item No.1- Shopping Mall cases

Decisions taken with respect to this agenda are tabulated and annexed as Annexure – 1.
Agenda Item No.2- Construction Project cases

Decisions taken with respect to this agenda are tabulated and annexed as Annexure – 2.
Agenda Item No.3- Complaint cases of Friends Colony Ind Area

This agenda could not be taken up due to paucity of time and it was decided by the Committee to take up the same in the next CMC meeting to be held on 27.06.2008.

Agenda Item No.4- Cases of renewal of Okhla Industrial Areas

This agenda could not be taken up due to paucity of time and it was decided by the Committee to take up the same in the next CMC meeting to be held on 27.06.2008.

Agenda Item No.5:  Cases of Naraina Industrial Area, Phase-I

This agenda could not be taken up due to paucity of time and it was decided by the Committee to take up the same in the next CMC meeting to be held on 27.06.2008.

Agenda Item No. 6- Cases of SMA, SSI and RUN Indl Areas

This agenda could not be taken up due to paucity of time and it was decided by the Committee to take up the same in the next CMC meeting to be held on 27.06.2008.

Meeting ended with thanks to the Chair.
 

	S.No
	Ref. No
	Name & Address
	Date of EC accorded by MOEF
	Status  of application for CTE
	Bult Up Area
	Water / Waste Water details
	Total Project Cost
	Date of Commissioning
	Earlier Decisions
	ATR/REMARKS
	Decision on 26.06.2008

	1
	SC-22
	Beverly Park Maintenance Service Ltd at Plot No. 3, Vasant Kunj Mall, Vasant Kunj, Delhi
	22/01/2007
	38417
	28960 sq m
	MCD-517 KLD   GW-nil   DIS.-125 KLD
	358 crore
	31/03/2007
	                        21.05.2008
Case of Beverly Park Maintenance Service Ltd at Plot No. 3, Vasant Kunj Mall, Vasant Kunj, Delhi was brought up by MS on account of court case in the High Court today. MS to do the following :
 (a) Ask SIT to inspect and report before the CMC meeting on 23.05.2008.
                        23.5.08
In view of the several adverse deficiencies noted by the SIT in this case, a carefully drafted notice for closure incorporating all the above deficiencies should be formally shown to Chairman and issued immediately. Call on 11.06.2008.
	The unit filed a writ before Hon'ble High Court.
Notice for closure issued as decided by CMC dated 23.05.2008.
Reply received. 
	A 28 page reply has been received from the unit in response to the notice for closure issued by DPCC.  MS may draft an appropriate counter to all the points raised by the units and then submit to CMC on 04.07.2008 for taking a decision in this case. 

	2
	SC-23
	Regency Park Management Services Private Ltd. at Plot No. 4, Vasant Kunj Mall, Vasant Kunj, Delhi
	24/11/2006
	25/9/2007
	59731.663 sq m
	MCD-287 KLD  GW-nil  DIS-76 KLD
	250 CRORE
	15/7/2008
	                            21.05.2008
Case of Regency Park Management Services Private Ltd. at Plot No. 4, Vasant Kunj Mall, Vasant Kunj, Delhi was  brought up by MS on account of court case in the High Court today. MS to do the following :
(a) Get a copy of court order through inspection of file by 22.5.2008.
(b) Ask SIT to inspect and report before the CMC meeting on 23.05.2008.
                           23.5.08
In view of the several adverse deficiencies noted by the SIT in this case, a carefully drafted notice for closure incorporating all the above deficiencies should be formally shown to Chairman and issued immediately. Call on 11.06.2008.
	The unit filed a writ before Hon'ble High Court.
Notice for closure issued as decided by CMC dated 23.05.2008.
Reply received. 
	A 28 page reply has been received from the unit in response to the notice for closure issued by DPCC.  MS may draft an appropriate counter to all the points raised by the units and then submit to CMC on 04.07.2008 for taking a decision in this case. 

	3
	SC-29
	TSL Mall /Shopping Mall, Sec-04 Dwarka, New Delhi
	Name not included in the list of Ecs accorded/pending with MOEF(as provided by MOEF)
	Not applied for consent to Establish
	 
	 
	 
	 
	                      11.03.2008
Unit may be asked to apply for Consent to Establish and MS to inspect and report in April, 2008 CMC.
                      17.04.2008
Ask the unit to apply for Consent to Establish by 21.05.2008. Take up on 21.05.2008.
                      28.5.08
 As per the inspection report of MS, the built up area is 650 sqm with one bore-well but without any documentary permission from the CGWA. Details w.r.t. waste water discharge & D.G. Set are not available. Issue notice to the unit to provide the same and to file Consent to Establish. Call on 25.06.2008.
	Notice issued on 06.06.2008.
Reply received on 12.06.2008
	Ask the unit to file permission from CGWA for ground water draw &  details of waste water discharge and its treatment. Also ask the unit to apply for Consent to Establish. Call on 31.07.2008.

	4
	SC-30
	TSL Mall /Shopping Mall, Sec-06 Dwarka, New Delhi
	Name not included in the list of Ecs accorded/pending with MOEF(as provided by MOEF)
	Not applied for consent to Establish
	734.4  sq m    /As per inspection report 
	 
	9.0 CRORE 
	 
	                      11.03.2008
Unit may be asked to apply for Consent to Establish and MS to inspect and report in April, 2008 CMC.
                       17.04.2008
Ask the unit to apply for Consent to Establish by 21.05.2008. Take up on 21.05.2008.
                        28.5.08
As per the inspection report of MS, the built up area is around 600 sqm and digging one bore-well but without any documentary permission from the CGWA. Details w.r.t. waste water discharge & D.G. Set are not available. Issue notice to the unit to provide the same and to file Consent to Establish. Call on 25.06.2008.
	Notice issued on 06.06.2008.
Reply received on 12.06.2008
	Ask the unit to file permission from CGWA for ground water draw &  details of waste water discharge and its treatment. Also ask the unit to apply for Consent to Establish. Call on 31.07.2008.

	5
	SC-31
	Pankaj Group, Sec-12 Dwarka, New Delhi
	Name not included in the list of Ecs accorded/pending with MOEF(as provided by MOEF)
	Not applied for consent to Establish
	531 sq m
	 
	aprox.40 lac  /as per  inspection report
	 
	                            17.04.2008
CMC to inspect and report by 21.05.2008. Take up on 21.05.2008.
                             28.5.08
This unit has 3 plots of 135 sqm each of which has a built up area of 531 sqm this makes a total built up area of 1593. As per the inspection report of CMC officials, the built up area is 531 sqm with one bore-well but without any documentary permission from the CGWA,7.5 KVA D.G. Set without acoustic enclosure found. Details w.r.t. waste water discharge is not available. Issue notice to the unit to provide the same and file Consent to Establish. Call on 25.06.2008.
CMC has also reported that there are 04 plots of the same size in the adjoining area which implies the built up area of nearly 2000 sqm. No information on water source, water discharge and D.G. Sets are available. Issue notice by hand to Manish Group at the site to file the above details and application for Consent to Establish. Call on 25.06.2008. 
	Notice issued on 06.06.2008 to M/s Pankaj Buildwell and M/s Manish Buildwell.
No reply received.
	Ask the unit to file permission from CGWA for ground water draw &  details of waste water discharge and its treatment. Details  Ask the unit to confirm by when the acoustic enclosure & adequate stack with D.G. Set will be provided. Also ask the unit to apply for Consent to Establish.  Letter may be issued to both the units namely Pankaj Buildwell & Manish Buildwell.   Call on 31.07.2008.

	6
	SC-36
	Sothern Park, D-2 District Center Saket, New Delhi
	Not applied
	Not applied
	N.A
	N.A
	N.A
	N.A
	                      17.04.2008
Issue final letter. Unit has not filed Environmental Clearance and Consent to Establish. Unit may be asked to file the following five things : 
1. Consent to Establish.
2. Environmental Clearance.
3. Affidavit indicating date of start of construction and completion of construction.
4. Approved architectural drawing.
5. Completion certificate.
Case will be taken up in April, 2008 CMC. 
                       01.05.2008
Call on 14.05.2008.
                   23.5.08
Repeat dispatch of notice of 17.04.2008 by hand at the site. Call on 11.06.2008.
	Notice was delievered to the unit in person on 04.06.2008
No reply received.
	The unit has not replied to the notice of DPCC letter dated 04.06.2008, SIT to inspect and report. Call on 31.07.2008.

	7
	SC-41
	Amazon Enterprises, Plot No 1, Community Centre, Alaknanda, New Delhi
	Pending with MOEF
	Not applied
	 
	 
	 
	 
	Letter for EC & CTE has been issued.
                     28.5.08
SIT to inspect and report by 11.06.2008. Call on 11.06.2008.
	Inspection is to be carried out by SIT.
	Call for personal hearing on 31.07.2008 at 6.00 PM.

	8
	SC-42
	Construcion of Commercial Complex cum-multi level parking at plot no 13, Jasola, New Delhi
	Pending with MOEF
	Not applied
	 
	 
	 
	 
	Letter for EC & CTE has been issued.
                     28.5.08
SIT to inspect and report by 11.06.2008. Call on 11.06.2008.
	Inspection is to be carried out by SIT.
	Call for personal hearing on 31.07.2008 at 6.30 PM.

	9
	SA-19
	 Magestic Agrotech Pvt Ltd,Commercial Building at Plot No. A, Block A, Community Centre, Vikaspuri, New Delhi
	13.06.2008
	13.05.2008
	_
	 
	 
	 
	                       17.04.2008
Ask the unit to file the Consent to Establish and Environmental Clearance. Call on 14.05.2008. 
                        21.05.2008
SIT to inspect and report on MOEF direction to stop construction. Call on 03.06.2008.
                          18.06.2008
(i) One borewell found at site without permission from CGWA for ground water drawl. 
(ii) Waste water generation is 3.2 KLD. No indication of its treatment.
(iii) D.G. Sets of 62 KVA & 125 KVA with acoustic enclosure and inadequate stack height and 3rd D.G. Set of 125 KVA is without acoustic enclosure and without adequate stack height. 

Call for personal hearing at 8.00 PM on 11.07.2008.
	Copy of EC received.
	The EIA Trainee will get the order from MOEF dated 02.04.2008 against this unit with due authorization by MS. Call  for personal hearing on 11.07.2008 at 8.00 PM. 

	10
	SA-20
	PVR Naraina, Naraina, Delhi
	Not submitted
	Not submitted
	_
	_
	_
	_
	                                            01.05.2008
A letter from Ex. Engineer (Karol Bagh Zone), MCD indicated that PVR Naraina was a shopping mall in Naraina Indl Area. Since there are other PVRs also, MS may issue a letter to PVR head office asking the following:
(a) Built up area.
(b) Waste water discharge & water drawl source.
(c) D.G. Sets with stack height with acoustic enclosure.
                                28.5.08
No reply has been received from the unit. The Committee felt that in view of the large sewage discharge and the waste water discharge from numerous restaurants, MS may once again write to CMD, PVR to provide the required information for all the PVRs in Delhi. Call on 25.06.2008.
	Letter issued for required information / dsocuments.
Reply awaited.
	Call for personal hearing on 31.07.2008 at 7.00 PM with details of all the PVRs along with details of built up area, details of ground water drawl & its permission from CGWA, waste water discharge & its treatment and details of D.G. Set(s).

	11
	SA-22
	Vishal Retail Ltd.,  1/1 Tilak Nagar, New Delhi
	Not submitted
	Not submitted
	_
	_
	_
	_
	                                        01.05.2008
Issue a letter to Vishal Retail Ltd. to file a noise monitoring reports for all D.G. Sets and along with existence of acoustic enclosures and stack height in affidavit form. Call on 03.06.2008.
                                    28.5.08
Unit had replied giving details of acoustic enclosure of the D.G. Sets, but no information on the stack height has been provided. It had also been silent on waste water discharge figures. Accordingly, MS has been directed administratively to ask for these two details for all the 14 malls of Vishal. This letter has gone on 27.05.2008 and therefore the case may be called on 18.06.2008.
	Letter issued on 27-05-08
Reply received.
	MS may write to Vishal Retail Ltd. to confirm the Water Cess amount paid for all the Shopping Malls. If, it has not paid so far the unit must do so before 31.07.2008 and confirm.Unit reports built up area 2818 sqm. It is silent on ground weater drawl and acoustic enclosure with the D.G. Set. Let the unit confirms the above by 31.07.2008. Call on 31.07.2008.

	12
	SA-23
	Vishal Retail Ltd.,  156 out of Khadra No. 83/14, Village Hastsal, Colony G-1 Block, Uttam Nagar, New Delhi
	Not submitted
	Not submitted
	_
	_
	_
	_
	                                        01.05.2008
Issue a letter to Vishal Retail Ltd. to file a noise monitoring reports for all D.G. Sets and along with existence of acoustic enclosures and stack height in affidavit form. Call on 03.06.2008.
                                    28.5.08
Unit had replied giving details of acoustic enclosure of the D.G. Sets, but no information on the stack height has been provided. It had also been silent on waste water discharge figures. Accordingly, MS has been directed administratively to ask for these two details for all the 14 malls of Vishal. This letter has gone on 27.05.2008 and therefore the case may be called on 18.06.2008.
	Letter issued on 27-05-08
Reply received.
	MS may write to Vishal Retail Ltd. to confirm the Water Cess amount paid for all the Shopping Malls. If, it has not paid so far the unit must do so before 31.07.2008 and confirm. Unit reports built up area 4400 sq. feet It is silent on ground weater drawl and acoustic enclosure with the D.G. Set. Let the unit confirms the above by 31.07.2008. Call on 31.07.2008.

	13
	SA-24
	Vishal Retail Ltd.,  Palmohan Plaza-39, Block- A,2 Rajouri Garden, New Delhi
	Not submitted
	Not submitted
	_
	_
	_
	_
	                                        01.05.2008
Issue a letter to Vishal Retail Ltd. to file a noise monitoring reports for all D.G. Sets and along with existence of acoustic enclosures and stack height in affidavit form. Call on 03.06.2008.
                                    28.5.08
Unit had replied giving details of acoustic enclosure of the D.G. Sets, but no information on the stack height has been provided. It had also been silent on waste water discharge figures. Accordingly, MS has been directed administratively to ask for these two details for all the 14 malls of Vishal. This letter has gone on 27.05.2008 and therefore the case may be called on 18.06.2008.
	Letter issued on 27-05-08
Reply received.
	MS may write to Vishal Retail Ltd. to confirm the Water Cess amount paid for all the Shopping Malls. If, it has not paid so far the unit must do so before 31.07.2008 and confirm. Unit reports built up area 4500 sq. feet. It is silent on ground weater drawl and acoustic enclosure with the D.G. Set. Let the unit confirms the above by 31.07.2008. Call on 31.07.2008.

	14
	SA-25
	Vishal Retail Ltd.,  B-374, Meera Bagh, Paschim Vihar, New Delhi
	Not submitted
	Not submitted
	_
	_
	_
	_
	                                        01.05.2008
Issue a letter to Vishal Retail Ltd. to file a noise monitoring reports for all D.G. Sets and along with existence of acoustic enclosures and stack height in affidavit form. Call on 03.06.2008.
                                    28.5.08
Unit had replied giving details of acoustic enclosure of the D.G. Sets, but no information on the stack height has been provided. It had also been silent on waste water discharge figures. Accordingly, MS has been directed administratively to ask for these two details for all the 14 malls of Vishal. This letter has gone on 27.05.2008 and therefore the case may be called on 18.06.2008.
	Letter issued on 27-05-08
Reply received.
	MS may write to Vishal Retail Ltd. to confirm the Water Cess amount paid for all the Shopping Malls. If, it has not paid so far the unit must do so before 31.07.2008 and confirm. Unit reports built up area 10087 sq. feet. It is silent on ground weater drawl and acoustic enclosure with the D.G. Set. Let the unit confirms the above by 31.07.2008. Call on 31.07.2008.

	15
	SA-26
	Vishal Retail Ltd.,  2, Road No. 85, Club Road, Punjabi Bagh(W), New Delhi
	Not submitted
	Not submitted
	_
	_
	_
	_
	                                        01.05.2008
Issue a letter to Vishal Retail Ltd. to file a noise monitoring reports for all D.G. Sets and along with existence of acoustic enclosures and stack height in affidavit form. Call on 03.06.2008.
                                    28.5.08
Unit had replied giving details of acoustic enclosure of the D.G. Sets, but no information on the stack height has been provided. It had also been silent on waste water discharge figures. Accordingly, MS has been directed administratively to ask for these two details for all the 14 malls of Vishal. This letter has gone on 27.05.2008 and therefore the case may be called on 18.06.2008.
	Letter issued on 27-05-08
Reply received.
	MS may write to Vishal Retail Ltd. to confirm the Water Cess amount paid for all the Shopping Malls. If, it has not paid so far the unit must do so before 31.07.2008 and confirm. Unit reports built up area 144 sq. feet. It is silent on ground weater drawl and acoustic enclosure with the D.G. Set. Let the unit confirms the above by 31.07.2008. Call on 31.07.2008.

	16
	SA-27
	Vishal Retail Ltd.,  10209/10210, Padam Singh Road, karol Bagh, Delhi
	Not submitted
	Not submitted
	_
	_
	_
	_
	                                        01.05.2008
Issue a letter to Vishal Retail Ltd. to file a noise monitoring reports for all D.G. Sets and along with existence of acoustic enclosures and stack height in affidavit form. Call on 03.06.2008.
                                    28.5.08
Unit had replied giving details of acoustic enclosure of the D.G. Sets, but no information on the stack height has been provided. It had also been silent on waste water discharge figures. Accordingly, MS has been directed administratively to ask for these two details for all the 14 malls of Vishal. This letter has gone on 27.05.2008 and therefore the case may be called on 18.06.2008.
	Letter issued on 27-05-08
Reply received.
	MS may write to Vishal Retail Ltd. to confirm the Water Cess amount paid for all the Shopping Malls. If, it has not paid so far the unit must do so before 31.07.2008 and confirm. Unit reports built up area 20000 sq. feet.  It is silent on ground weater drawl and acoustic enclosure with the D.G. Set. Let the unit confirms the above by 31.07.2008. Call on 31.07.2008.

	17
	SB-35
	Vishal Retail Ltd., A Block, plot no.1, Ground Floor, Ph-2, Opp. Satyawati College, Ashok Vihar, New Delhi
	_
	Not applied
	 
	 
	 
	 
	                                        01.05.2008
Issue a letter to Vishal Retail Ltd. to file a noise monitoring reports for all D.G. Sets and along with existence of acoustic enclosures and stack height in affidavit form. Call on 03.06.2008.
                                    28.5.08
Unit had replied giving details of acoustic enclosure of the D.G. Sets, but no information on the stack height has been provided. It had also been silent on waste water discharge figures. Accordingly, MS has been directed administratively to ask for these two details for all the 14 malls of Vishal. This letter has gone on 27.05.2008 and therefore the case may be called on 18.06.2008.
	Letter issued on 27-05-08
Reply received.
	MS may write to Vishal Retail Ltd. to confirm the Water Cess amount paid for all the Shopping Malls. If, it has not paid so far the unit must do so before 31.07.2008 and confirm. Unit reports built up area 2250 sq. feet.  It is silent on ground weater drawl and acoustic enclosure with the D.G. Set. Let the unit confirms the above by 31.07.2008. Call on 31.07.2008.

	18
	SB-36
	Vishal Retail Ltd.,  E-6 Outer Ring Road, Prashant Vihar, New Delhi
	_
	Not applied
	 
	 
	 
	 
	                                        01.05.2008
Issue a letter to Vishal Retail Ltd. to file a noise monitoring reports for all D.G. Sets and along with existence of acoustic enclosures and stack height in affidavit form. Call on 03.06.2008.
                                    28.5.08
Unit had replied giving details of acoustic enclosure of the D.G. Sets, but no information on the stack height has been provided. It had also been silent on waste water discharge figures. Accordingly, MS has been directed administratively to ask for these two details for all the 14 malls of Vishal. This letter has gone on 27.05.2008 and therefore the case may be called on 18.06.2008.
	Letter issued on 27-05-08
Reply received.
	MS may write to Vishal Retail Ltd. to confirm the Water Cess amount paid for all the Shopping Malls. If, it has not paid so far the unit must do so before 31.07.2008 and confirm. Unit reports built up area 4500 sq. feet.  It is silent on ground weater drawl and acoustic enclosure with the D.G. Set. Let the unit confirms the above by 31.07.2008. Call on 31.07.2008.

	19
	SB-37
	Vishal Retail Ltd.,  D-2/21 Krishna Nagar, Delhi
	_
	Not applied
	 
	 
	 
	 
	                                        01.05.2008
Issue a letter to Vishal Retail Ltd. to file a noise monitoring reports for all D.G. Sets and along with existence of acoustic enclosures and stack height in affidavit form. Call on 03.06.2008.
                                    28.5.08
Unit had replied giving details of acoustic enclosure of the D.G. Sets, but no information on the stack height has been provided. It had also been silent on waste water discharge figures. Accordingly, MS has been directed administratively to ask for these two details for all the 14 malls of Vishal. This letter has gone on 27.05.2008 and therefore the case may be called on 18.06.2008.
	Letter issued on 27-05-08
Reply received.
	MS may write to Vishal Retail Ltd. to confirm the Water Cess amount paid for all the Shopping Malls. If, it has not paid so far the unit must do so before 31.07.2008 and confirm. Unit reports built up area 6000 sq. feet.  It is silent on ground weater drawl and acoustic enclosure with the D.G. Set. Let the unit confirms the above by 31.07.2008. Call on 31.07.2008.

	20
	SB-38
	Vishal Retail Ltd.,  E-367, Nirman Vihar, Vikas Marg, New Delhi-92
	_
	Not applied
	 
	 
	 
	 
	                                        01.05.2008
Issue a letter to Vishal Retail Ltd. to file a noise monitoring reports for all D.G. Sets and along with existence of acoustic enclosures and stack height in affidavit form. Call on 03.06.2008.
                                    28.5.08
Unit had replied giving details of acoustic enclosure of the D.G. Sets, but no information on the stack height has been provided. It had also been silent on waste water discharge figures. Accordingly, MS has been directed administratively to ask for these two details for all the 14 malls of Vishal. This letter has gone on 27.05.2008 and therefore the case may be called on 18.06.2008.
	Letter issued on 27-05-08
Reply received.
	MS may write to Vishal Retail Ltd. to confirm the Water Cess amount paid for all the Shopping Malls. If, it has not paid so far the unit must do so before 31.07.2008 and confirm. Unit reports built up area 10400 sq. feet.  It is silent on ground weater drawl and acoustic enclosure with the D.G. Set. Let the unit confirms the above by 31.07.2008. Call on 31.07.2008.

	21
	SB-39
	Vishal Retail Ltd.,  FD-7 Pitampura, New Delhi
	_
	Not applied
	 
	 
	 
	 
	                                        01.05.2008
Issue a letter to Vishal Retail Ltd. to file a noise monitoring reports for all D.G. Sets and along with existence of acoustic enclosures and stack height in affidavit form. Call on 03.06.2008.
                                    28.5.08
Unit had replied giving details of acoustic enclosure of the D.G. Sets, but no information on the stack height has been provided. It had also been silent on waste water discharge figures. Accordingly, MS has been directed administratively to ask for these two details for all the 14 malls of Vishal. This letter has gone on 27.05.2008 and therefore the case may be called on 18.06.2008.
	Letter issued on 27-05-08
Reply received.
	MS may write to Vishal Retail Ltd. to confirm the Water Cess amount paid for all the Shopping Malls. If, it has not paid so far the unit must do so before 31.07.2008 and confirm. Unit reports built up area 18000 sq. feet.  It is silent on ground weater drawl and acoustic enclosure with the D.G. Set. Let the unit confirms the above by 31.07.2008. Call on 31.07.2008.

	22
	SC-38
	Vishal Retail Ltd.,  RZ-6, Part of Rect No 19 Killa No. 1/2/1, 10, 1/2/2 Rect No. 18 Killa No. 7/3, 5/2 & 6, Laxmi Garden, Village Nazafgarh.
	_
	Not applied
	 
	 
	 
	 
	                                        01.05.2008
Issue a letter to Vishal Retail Ltd. to file a noise monitoring reports for all D.G. Sets and along with existence of acoustic enclosures and stack height in affidavit form. Call on 03.06.2008.
                                    28.5.08
Unit had replied giving details of acoustic enclosure of the D.G. Sets, but no information on the stack height has been provided. It had also been silent on waste water discharge figures. Accordingly, MS has been directed administratively to ask for these two details for all the 14 malls of Vishal. This letter has gone on 27.05.2008 and therefore the case may be called on 18.06.2008.
	Letter issued on 27-05-08
Reply received.
	MS may write to Vishal Retail Ltd. to confirm the Water Cess amount paid for all the Shopping Malls. If, it has not paid so far the unit must do so before 31.07.2008 and confirm. SIT to inspect and report. Call on 31.07.2008.

	23
	SC-39
	Vishal Retail Ltd.,  Mahipalpur Crossing Near Bikaner Sweets Mahipalpur, New Delhi
	_
	Not applied
	 
	 
	 
	 
	                                        01.05.2008
Issue a letter to Vishal Retail Ltd. to file a noise monitoring reports for all D.G. Sets and along with existence of acoustic enclosures and stack height in affidavit form. Call on 03.06.2008.
                                    28.5.08
Unit had replied giving details of acoustic enclosure of the D.G. Sets, but no information on the stack height has been provided. It had also been silent on waste water discharge figures. Accordingly, MS has been directed administratively to ask for these two details for all the 14 malls of Vishal. This letter has gone on 27.05.2008 and therefore the case may be called on 18.06.2008.
	Letter issued on 27-05-08
Reply received.
	MS may write to Vishal Retail Ltd. to confirm the Water Cess amount paid for all the Shopping Malls. If, it has not paid so far the unit must do so before 31.07.2008 and confirm. Unit reports built up area 12500 sq. feet.  It is silent on ground weater drawl and acoustic enclosure with the D.G. Set. Let the unit confirms the above by 31.07.2008. Call on 31.07.2008.

	24
	SC-40
	Vishal Retail Ltd.,  A-18, B Block, Mihan Co-Operative Society, Mathura Road, New Delhi
	_
	Not applied
	 
	 
	 
	 
	                                        01.05.2008
Issue a letter to Vishal Retail Ltd. to file a noise monitoring reports for all D.G. Sets and along with existence of acoustic enclosures and stack height in affidavit form. Call on 03.06.2008.
                                    28.5.08
Unit had replied giving details of acoustic enclosure of the D.G. Sets, but no information on the stack height has been provided. It had also been silent on waste water discharge figures. Accordingly, MS has been directed administratively to ask for these two details for all the 14 malls of Vishal. This letter has gone on 27.05.2008 and therefore the case may be called on 18.06.2008.
	Letter issued on 27-05-08
Reply received.
	MS may write to Vishal Retail Ltd. to confirm the Water Cess amount paid for all the Shopping Malls. If, it has not paid so far the unit must do so before 31.07.2008 and confirm. SIT to inspect and report. Call on 31.07.2008.


	S.No
	Ref. No
	Name & Address
	Date of EC accorded by MOEF
	Status  of CTE
	Bult Up Area
	Water / Waste Water details
	Total Project Cost
	Date of Commissioning
	Earlier decisions
	ATR/Remarks 
	Decision on 26.06.2008

	1
	A-4
	MCD, Civic Center at J.N. Marg, Delhi
	18-07-2007
	04/08/05
	1,16,755 Sqm
	MCD--610.5  KLD & GW-- 541.8 KLD/ 488 KLD
	789.41 crores
	30/06/05
	            18.02.2008
Consent to Establish will be pending till EIA clearance is obtained.  
            17.3.2008
MS to speak. Take up in April, 2008.
              23.04.2008
Issue letter to MCD as decided in CMC on 17.04.2008.
                      03.6.08
Call on 11.07.2008.
	As decided, a letter issued.
No compliance affidavit received and no letter regarding redressal of complaint received from the CPWD flats opposite to this project.
The unit was inspected by SEE. The observations made in inspection report to be discussed.
	Reminder will be issued by MS to file compliance affidavit of Environmental Clearance conditions. Call on 31.07.2008.

	2
	A-7
	DLF Limted, Construction of Office Complex at DLF Centre Sansad marg
	21-05-08
	22-08-07
	18,553.8 Sqm
	MCD 13.33 KLD GW--61.17 KLD / 34 KLD
	3,04,163,477 crores
	1991
	             18.02.2008
Ask him to submit EIA clearance of MoE&F first. Also ask him to apply for Consent to Establish.        
         17.3.2008
Take up in April, 2008.
               23.04.2008
There is no provision in law to provide Consent to Operate directly without Consent to Establish. Let the unit, therefore,  file application for Consent to Establish and self assessed  cess by 21.05.2008.
             03.6.08
The unit is required to file the water cess amount from May, 2003 when it became applicable. Since the unit falls under the self assessment category, it maybe directed to file water cess amount,  from May, 2003 to May, 2008.
The unit also draws ground water and has not filed permission from CGWA. Ask the unit to file the same before 25.06.2008. Call on 25.06.2008.
	Letter issued.
Reply awaited.
	The unit has not filed confirmation of payment of the water cess amount from 2003 to 2008 as directed by DPCC vide letter dated 13.06.2008. Unit may be directed to do so by 31.07.2008 without fail. The unit may be also asked permission from CGWA for ground water drawl. Call on 31.07.2008.

	3
	A-9
	Piccadily Hotel at District Center, Janakpuri, Delhi
	21-05-07
	Applied 
(Old)
	34067.31 Sqm in EC & 22689.31 Sqm in Application  
	MCD 300 KLD GW 240 KLD / 340 KLD
	84 crores in Application & 88 crores in EC
	__
	                          03.6.08
MS reports that the unit has confirmed that it will file the Bank Guarantee soon since the MD is out of the country.  Call on 11.06.2008 for filling the Bank Guarantee
	 Unit has submitted a penalty of Rs. 20 Lakh, the case was reviewed in CMC and accordingly a letter has been issued for submission of BG of Rs. 60 Lakhs.
BG not submitted. Letter for the same issued on 26.06.2008.
	Call on 04.07.2008.

	4
	A-12
	 Tirupati Infraprojects Private Limited, 
 "Indus Hotel & Spa" 
Plot No. - D, Paschim Vihar Dist Centre,
 New Delhi
	04.06.2008
	24-04-08
	__
	__
	__
	__
	                  13.05.2008
Unit has not yet filed Environmental Clearance as its case was discussed on 13.03.2008 and various documentary submissions were required by MOEF. In order to be sure about the factual information, SIT may be asked to inspect the premises and report by 10.06.2008. Call on 11.06.2008. Meanwhile, unit may be asked to submit a copy of Environmental Clearance once again.
                    03.6.08
Take up on 11.06.2008.
	Letter issued on 27.5.08.
Reply awaited.
SIT inspection report to be discussed.
	Call for personal hearing on 31.07.2008 at 7.30 PM. Meanwhile, item-wise Environmental Clearance conditions be filed by the unit. 

	5
	A-14
	Hotel Leelaventure Limited
Africa Avenue, Chanakya Puri, New Delhi
	13.06.2008
	06/03/08
	39,194.98 Sqm 
	MCD - 125 KLD / GW - 80 KLD / 218 KLD
	306 crores 
	Mar-10
	                                       23.4.2008
Issue a reminder to both the addresses to file Consent to Establish and environmental clearance by 30.04.2008. Call on 30.04.2008.
                                       01.05.2008
Since the letter was issued by DPCC on 29.04.2008, call on 14.05.2008 with all the documents mentioned in the DPCC letter. 
                     03.6.08
The unit has filed the Consent to Establish application but not filed the Environmental Clearance so far. MOEF has raised 12 clarifications in its meeting held on 03.04.2008. The total cost of the project is Rs. 611 crores for land & Rs. 306 crores for construction making a total of Rs. 917 crores. The unit may be asked to file clarification on the extent of ground water drawl and the permission for the same and it may be asked to expedite the submission of copy of Environmental Clearance. Call on 25.06.2008.
	Notice was issued to the unit to apply for CTE and submit a copy of EC on 09.4.2008 as approved by Chairman.
No reply received as yet.
Letter as decided by CMC on 23.4.08  issued on 29.4.08.
As per the minutes of EAC meeting dated 03.4.08, the unit has applied for EC.
Applied for CTE on 03.06.2008 and EC is awaited.
	SIT to inspect and report. Call on 11.07.2008.

	6
	A-16
	D.D. Properties Pvt., Plot No 68 & 68/1, Najafgarh Road, Delhi
	Pending with MOE&F
	Not applied.
	__
	__
	__
	__
	03.6.08
Call on 18.06.2008.
	Notice u/s 25/26 of Water Act and u/s 21/22 of Air Act was isued on 30.04.2008 for CTE. Reply awaited.
	SIT to inspect and report. Call on 31.07.2008.

	7
	A-19
	P.P. Buildwell,Constrcuion of Conventional Center , District Center, Janak Puri, Delhi
	Not applied
	Not applied
	__
	__
	__
	__
	                        03.6.08
The unit has sent a letter saying that the Director is out of station and therefore they could not appear on 29.05.208. It has sought a time for 15 days. Call on 11.06.2008 at 7.30 PM for personal hearing, indicating in the letter that if he fails to appear the action as per law will be taken. 
                                       11.6.2008
The unit was called for personal hearing and it confirmed that entire construction is completed and Consent to Establish has not been applied for. Ask SIT to inspect and report on 25.06.2008.
	Notice u/s 25/26 of Water Act and u/s 21/22 of Air Act was isued on 06.05.2008 for CTE.
Reply submitted on 29.05.2008 wherein he is stating w.r.t. personal hearing accorded for West End Mall.
	SIT to inspect and report and also personal heraing on 27.06.2008 at 6.00 PM.

	8
	B-7
	Parsvnath landmark developers Pvt. Ltd (La Tropicana) at Magazine Road, Khber Pass, Civil Line, New Delhi
	07/02/07
	22-05-06
	22717.18 Sqm
	MCD 465 KLD  / 261KLD(STP)
	476.69 Crores
	2009
	             18.02.2008
Ask the unit to file the EIA clearance. Separately a copy of this letter may be sent  to Addl. Secretary, MoE&F to ascertain the latest status of the unit and whether any order has been passed on their application by MoE&F.           
   17.3.2008
Unit be asked to submit item-wise compliance of conditions laid down in Environmental Clearance and date of start of construction & date of completion through an affidavit. 
             23.04.2008
MS to inspect and report. Call on 14.05.2008.
             13.05.2008
Since MS needs some more time to inspect, call on 21.05.2008.
                   03.6.08
SIT to inspect and report. Ask the unit to file details of waste water discharge, D.G. Set,  ground water drawl and water cess payment as per Cess Act. Call on 25.06.2008.
	Letter issued on 31.3.2008
Reply  received on 04.4.08.
Stated that they have not started construction work since the building plan is not approved for want of CTE.
Inspection yet to be done.
	Call for personal hearing on 31.07.2008 at 8.00 PM. 

	9
	B-8
	Residential Complex near Rithala Metro Station by A.P. Real Estates
	Pending with Moef
	30-08-07
	29,889.65 Sqm
	MCD 221 KLD/ 170 KLD (STP)
	93.28 Crores
	2008
	            18.02.2008
Ask the unit to file EIA clearance.              
  17.3.2008
MS may write to MOEF to find out the status of EIA clearance. Take up in April, 2008.
                23.04.2008
Call on 21.05.2008 with response..
                  03.6.08
Call for personal hearing on 11.06.2008 at 7.45 PM.
                    11.6.2008
The unit was called for personal hearing today. He claims no construction taken place so far. The internet download of MOEF indicates that certain clarifications have been sought and Environmental Clearance is yet to be given to the unit. SIT may inspect and report on all points relating to Air, Water & Noise pollution, Green Building concept and efficient waste management practices. Unit may also be asked to file permission from CGWA for ground water drawl. Call on 25.06.2008.
	Letter issued on 8.5.08 to MoEF and reply awaited.
Letter issued to the unit.
Reply awaited.
	Call on 27.06.2008.

	10
	B-14
	Asrani Inns and Resorts Pvt. Ltd., (construction of 'JMJ' Hotel'), Wazirpur District Centre, Delhi
	Pending with Moef
	Applied for CTE on 10.6.08
	59, 478.244 Sqm
	457 KLD IN EC/ 260 KLD (STP)
	235 Crores
	__
	                 23.04.2008
Reminder for taking up on 21.05.2008.
                   03.6.08
Issue notice for closure for not applying for Consent to Establish. Call on 25.06.2008.
	Notice for closure issued on 14.06.2008.
	SIT to inspect and report. Call on 31.07.2008.

	11
	B-15
	Aman Hospitality Pvt. Ltd., (construction of '5 Star Hotel'), CBD Shahdara, Delhi
	Pending with Moef
	04.04.2008
	91, 444 Sqm
	886 KLD in EC /615 KLD (STP)
	866 Crores
	__
	                 23.04.2008
Reminder for taking up on 21.05.2008.
                   03.6.08
Issue notice for closure for not applying for Consent to Establish. Call on 25.06.2008.
	Notice for closure issued.Reply awaited.
As per remarks by unit on the notice for closure during personally delievered the same that unit has already submitted CTE on 04.04.2008 & same was traced out from CMC-III.
	SIT to inspect and report. Call on 31.07.2008.

	12
	B-17
	Anush Finlease and Construction P Ltd,, Proposed Indus Hotel & Spa
Plot No. - 11, CBD, Shahdara, Delhi - 92
	Pending with Moef
	24-04-08
	29,121.91 Sqm
	264 KLD in EC / 175 KLD (STP)
	160 Crores
	2008
	                         13.05.2008
Unit has not yet filed Environmental Clearance as its case was discussed on 13.03.2008 and various documentary submissions were required by MOEF. In order to be sure about the factual information, SIT may be asked to inspect the premises and report by 10.06.2008. Call on 11.06.2008. Meanwhile, unit may be asked to submit a copy of Environmental Clearance once again.

                03.6.08
Issue reminder for Environmental Clearance and ask the unit to file an affidavit indicating date of start of construction & date of completion, completion certificate, approved architectural drawing, details of builtup area, plot area, waste water discharge, ground water drawl, permission from Central Ground Water Authority, water cess payment as per Water Cess Act, 1977, DG sets. Call on 11.07.2008.
	Notice issued.
Applied for CTE on 24.4.08.
Copy of EC not submitted as the same is lying pending with MoEF.
Letter as per the CMC decision dated 03.06.2008 is issued.
	As per decision of CMC dated 25.06.2008.

	13
	C-8
	Maruti Udyog Limited , Plot No. 1 Vasant Kunj Mall, Vasant Kunj, New Delhi
	29-11-06
	13.04.2005
	24567.5 sqm
	MCD - 49.03 KLD  / 37.2 KLD
	90 crores
	Oct-08
	           18.02.2008
Ask the unit to submit an affidavit seeking itemwise compliance of EIA conditions.        
  17.3.2008
Take up in April, 2008. Ask the unit to submit an affidavit  w.r.t. date of start of construction and likely date of completion of construction.
           23.04.2008
Draft letters seeking clarification have been put up which will be corrected and issued. 
                  03.6.08
SIT to inspect and report. Call on 11.06.2008
	Inspection is to be carried out by SIT.
	Call for personal hearing on 31.07.2008 at 8.30 PM. 

	14
	C-13
	The Mira , 1 & 2 Ishwar Nagar, New Delhi
	Not Required(Letter from MoEF dated 9.07.2007)
	Applied
	14838metre square
	MCD-Nil, GW-Quanitity not mention, Waste Water Discharge-100 KLD
	30 crore
	2006
	   18.02.2008
Inspect and report on 29.02.2008.       
    17.3.2008
Take up in April, 2008.
           23.04.2008
Draft letter will be put up and issued this week.
              03.6.2008
Issue reminder to file complete affidavit on all the points raised vide our letter dated 28.04.2008 and also to file details of waste water discharge, D.G. Set, details, ground water and water cess payment as per Cess Act. Call on 25.06.2008.  
	Letter issued on 12.06.2008.
Reply awaited.
	As requested time allowed to file the complete documents by 31.07.2008 including ground water drawl and its permission from CGWA. Call on 31.07.2008.

	15
	C-18
	DLF Ltd. , Block W, Greater Kailash, New Delhi
	26-12-07
	03/08/07
	23281.258 Sq. Metre
	MCD-155.72 KLD, GW-Nil, Discharge-44.61 KLD
	53.19 crore
	may,2008
	                       23.04.2008
Ask the unit to file affidavit indicating date of start of construction and completion of construction and also to submit completion certificate. Call on 21.05.2008.
               28.05.2008
The unit vide its consent application is showing water drawl of 1.55 Lakh litres per day and waste water discharge upto 80 % of the same. The unit must file authorization from local body for such a huge drawl of water and its professional treatment so that only treated effluent enters the drain. SIT while inspecting will devote specific attention to these two points along with D.G Sets details and their impact. As regard the item-wise compliance affidavit filed by the unit, SIT will also cross check what is stated there and submit its report on 18.06.2008. Call on 18.06.2008.
                03.6.08
Call on 18.06.2008.
	Letter isued on 06.05.2008.
Reply received on 02.05.2008 that construction has not been started till date.
Inspection is to be carried out by SIT.
	The unit has filed a detailed reply which MS has to study. Case is to be taken up in CMC on 11.07.2008.

	16
	C-21
	DLF Ltd., Group Housing Society at E Block, G.K-II
	_
	14-5-2007
	10733 metre square
	MCD-1095./4KLD,GW-Nil, Waste water discharge-24.73 KLD
	26.755 crore
	Feb,2009
	                     23.04.2008
Let the unit file an affidavit of previous directions regarding date of start of construction and date of completion by 14.05.2008. Call on 14.05.2008.
              13.05.2008
SIT to inspect with special reference to waste water discharge and installation of D.G. Set and report to CMC by 03.06.2008. Unit may also be asked to clarify the waste water discharge figures which differ from their letter dated 21.02.2008 and their CTE application dated 17.04.2007. Call on 03.06.2008.
                28.05.2008
Decision of CMC dated 13.05.2008 will stand.
                   03.6.08
Issue notice for closure indicating the deficiencies observed by SIT. Call on 25.06.2008.
	Notice for closure issued. 
No reply received.
	MS to study reply. Call on 11.07.2008.

	17
	C-23
	IFFCO Sadan , C-1, District Centre Saket, Saket, New Delhi
	Not applicable
	18.06.2008
	17912
	DJ - 45 KLD / GW - Nil / WW - 5 KLD
	86.455 crores
	Apr-06
	               18.02.2008
Ask the unit to apply for Consent to Establish. Also ask the previous EE to file his explanation on whose orders notice was issued.
              17.3.2008
MS to speak and also check from MOEF for Environmental Clearance. Take up in April, 2008.
               23.04.2008
Fresh reminder for Consent to Establish & Environmental Clearance. Call on 21.05.2008.
                03.6..08
Time allowed. Call on 25.06.2008
	Applied for CTE on 18.06.2008.
	Unit to file details of water drawl including from ground water along with CGWA permission. Unit may also file details of waste water discharge and its treatment. Call on 31.07.2008.

	18
	C-33
	Construction of 5 star Hotel project at Plot No. 15 and 15 A, Non-Heirachial Commercial Complex, Jasola, Delhi by M/s Emmar MGF Land Pvt. Ltd.
	EC obtained
	05/01/08
	71693.80 metre square
	MCD-262KLD, GW-Nil, Discharge-236 KLD
	779 crore
	2010
	                  23.04.2008
Ask the unit to submit an application for Consent to Establish and a copy of Environmental Clearance. Call on 21.05.2008.
                  13.05.2008
Ask the unit to file application for Consent to Establish immediately and also itemwise compliance affidavit on 26 conditions under construction phase and 03 general conditions.  This may be done by 11.06.2008. Call on 11.06.2008.
                   03.6.08
SIT to inspect and report. Call on 11.06.2008
	Information received from website of MoEF.
Case was already considered in CMC meeting held on 13.05.2008.letter issued on 28-5-2008. Reply awaited.
 Inspection is to be carried out by SIT.
	Call for personal hearing on 18.07.2008 at 8.30 PM. 

	19
	C-38
	NBCC Commercial Centre, Plot NO 2, Community Centre, Phase-I, Okhla
	_
	13.03.2008
	25991 sqm
	DJB - 339 Lt/day
GW - Nil
WW - Nil
(STP proposed)
	190 crores
	Jan, 2009
	_
	Applied for CTE on 13.03.2008 vide I.D. No. 25184.
	Ask the unit to submit the following documents :-
1. Affidavit indicating date of start of construction and date of completion. 2. Completion certificate. 3. Approved architectural drawing. 4. details of water drawl. 5. Permission from CGWA for ground water drawl. 6. Deatils of  waste water & its treatment.   7. Details of D.G. Sets.8. Plot area. 9. Builtup Area. 10. Copy of Environmental Clearance. Call on 31.07.2008. 

	20
	C-39
	DMRC, I.T.Park, Block No 3, Shastri Nagar, Delhi
	_
	05.06.2008
	38841 sqm
	MCD - Nil
GW - 288.7 KLD
WW - Nil (STP proposed)
	90 crores
	April, 2010
	_
	Applied for CTE on 05.06.2008 vide I.D. No. 25980.
	Ask the unit to submit the following documents :-
1. Affidavit indicating date of start of construction and date of completion. 2. Completion certificate. 3. Approved architectural drawing. 4. details of water drawl. 5. Permission from CGWA for ground water drawl. 6. Deatils of  waste water & its treatment.   7. Details of D.G. Sets.8. Plot area. 9. Builtup Area. 10. Copy of Environmental Clearance. Call on 31.07.2008. 

	21
	CW-6
	Commonwealth Village, Near Akshardham Temple
	14-12-06
	13-09-06
	2,27,640 Sqm
	MCD 3010 KLD during Games and 1225 KLD after games / 2408 KLD during Games and 980 KLD after Games
	850 Crores
	2007
	              01.05.2008
Ask for itemwise compliance of all conditions laid down by MoEF, GOI in the Environmental Clearance in the form of an affidavit. Call on 03.06.2008
                 03.6.08
Ask the unit to file ground water drawl figures and permission from CGWA. Call on 18.06.2008. Issue letter in this case without waiting for minutes.
	Letter issued.
Reply awaited.
	Issue reminder. Call on 31.07.2008.

	22
	CW-7
	Thyagrajan Sports Complex, Thyagaraj Nagar, New Delhi
	Copy of EC not enclosed.
	11/05/07
	30539metre sqyare
	MCD-DJB, GW-Nil, Waste water-3500 LPD
	97.45 crore
	Not mentioned
	          01.05.2008
Time allowed till 03.06.2008. 
                03.6.08
Call on 11.07.2008
	Unit has obtained Environmental Clearance from MOEF on 28.05.2008.
	Consent to Establish granted.


