 Minutes of the 144th meeting of the Committee Constituted for Deciding the Consent under Orange Category, held on 26.07.2010 in the Conference Room of Chairman, DPCC.

   The following persons attended the meeting:

Sh. Dharmendra, Chairman, DPCC

Dr. A.K.Ambasht, Member Secretary, DPCC

Sh. M. Dwarakanth, SSO, Dept. of Env,. GNCTD 

Sh. B. Kumar, SEE, DPCC 

EEs of CMC –  I, II & III.


AEEs of CMC – I, II, III & IV.


Prof. S. K. Gupta, IIT-Delhi could not attend the meeting.

Following decisions were taken in the said meeting:- 

Agenda Item No. 1- Personal Hearing of Ambience Developer Pvt. Ltd. (Construction of Shopping Mall at Plot No 2, Vasant Kunj, Phase-II).  

Sh. Rajan Kohli, AGM, Legal came for personal hearing and submitted a representation requesting the postponement of the hearing on the ground that its Managing Director is out of station. The Committee decided to give another personal hearing on 30.07.2010 at 4.30 PM. 
Agenda Item No. 2- Fresh Consent to Operate / Renewal cases w.e.f. 01.04.2010 considered by Scrutinizing Committee on 18.05.2010/19.05.2010/20.05.2010. 

Decisions taken with respect to this agenda are tabulated and annexed as Annexure – 1. 

Agenda Item No. 3- Cases of 21 hotel projects falling under Definite Category and likely category regarding forthcoming Common Wealth Games considered by Scrutinizing Committee on 25.06.2010 / 30.06.2010.

This agenda could not be taken up by the Committee, due to paucity of time, and it was decided to take up the same in the next meeting.

Agenda Item No. 4- Cases of Consent to Establish in non industrial areas       w.e.f. 07.08.2008 considered by Scrutinizing Committee on 25.06.2010 / 30.06.2010.

This agenda could not be taken up by the Committee, due to paucity of time, and it was decided to take up the same in the next meeting.

Agenda Item No. 5- Fresh Consent to Establish cases w.e.f. 11.05.2010 considered by Scrutinizing Committee on 15.07.2010.  

Decisions taken with respect to w.r.t. 40 cases of this agenda are tabulated and annexed as Annexure –2. The remaining cases of this agenda could not be taken up by the Committee, due to paucity of time, and it was decided to take up the same in the next meeting.

Agenda Item No. 6- Fresh Consent to Operate / Renewal cases w.e.f. 11.05.2010 considered by Scrutinizing Committee on 15.07.2010. 

This agenda could not be taken up by the Committee, due to paucity of time, and it was decided to take up the same in the next meeting.

Agenda Item No. 7- Special Reference Cases considered by Scrutinizing Committee on 15.07.2010.

Decisions taken with respect to this agenda are tabulated and annexed as Annexure – 3. 

Agenda Item No. 8- Cases processed administratively for putting up in CMC considered by Scrutinizing Committee on 15.07.2010.

Decisions taken with respect to this agenda are tabulated and annexed as Annexure – 4. 

Agenda Item No. 9- Cases of Motel/ Farm Houses at Narela-Alipur Zone considered by Scrutinizing Committee on 15.07.2010. 

This agenda could not be taken up by the Committee, due to paucity of time, and it was decided to take up the same in the next meeting.

Agenda Item No. 10- Two Table Agenda Items considered by Scrutinizing Committee on 15.07.2010.

This agenda could not be taken up by the Committee, due to paucity of time, and it was decided to take up the same in the next meeting.

Table Agenda Item No 1: M/s ITC Limited (Unit Sheraton New Delhi), District Centre, New Delhi

Inspection be conducted.

Table Agenda Item No 2: M/s Shantiniketan Buildwell Ltd., Plot No D-3, P-3B, Saket, New Delhi

Point wise deficiencies be informed to the unit and ask the compliance in this regard. 

Meeting ended with thanks to the chair.
	Sl. No 
	ID No
	appl_dt
	firm_name
	firm_address
	area_name
	Category
	Proposed  Activity/ Product
	Earlier CMC Decisions  
	Quantity of Ground water extraction
	ATR / Remarks
	Recommendations of Scrutinizing Committee on 18.05.2010/19.05.2010/20.05.2010
	Decision on 26.07.2010

	1
	33397
	01-04-2010
	J.J. IMPEX (DELHI) PRIVATE LIMITED
	F-39, PHASE-II
	OKHLA INDUSTRIAL AREA
	RENEWAL
	Automobile workshop cum service centre
	 
	10900 lt/day
	1. Comencement-Sept 1999
2. Trade effluent-9500 lt/day, AR of 24.11.09 submitted
3. DG-Three no.s of 100 Kva, 100 Kva & 82.5 Kva, NMR submitted.
4. Paint Booth- Three nos. , SMR submitted with stack 11 mt above from ground level and 2 mt above from roof level.
5. Earlier CTR valid upto 25.08.06, CTR applied on 09.10.06.
6. HWM applied on 15.04.10
7. CTE not required.
	Recommended for grant of renewal of consent and authorization under HWM Rules. Inform to DJB regarding ground water extraction.
	Issue renewal of consent and authorization under HWM Rules. Inform to DJB regarding ground water extraction.

	2
	33403
	01-04-2010
	JAYNA DIAL INDUSTRIES
	PLOT NO 335, FIE
	PATPARGANJ INDUSTRIAL AREA
	RENEWAL
	Making Aluminum Clock Dial And Name Plates(Including Anodising)
	 
	 
	BUA: 300 sq yd
GW: Nil
Water Consumption: 1500 Lt/Day
Waste Water:
(a) domestic effluent: 400 Lt/day
(b) Trade Effluent: 1000 Lt/day
Year of  estblishment: 1985
CTO issued on 02.05.2003. Expired on 25.07.2005
Applied for CTR on 21.09.2005
Applied for CTE & CTO(R) on 01.04.2010.
Applied for authorization on 22.08.2006
	Recommended for grant of renewal of consent. Ask the unit to apply for fresh authorization under HWM Rules. 
	Issue renewal of consent. Ask the unit to apply for fresh authorization under HWM Rules. 

	3
	33408
	05-04-2010
	WORLD CLASS AUTOMOBILES PVT. LTD.
	68/3
	NAJAFGARH ROAD INDUSTRIAL AREA
	OPERATE
	Servicing & washing of vehicles
	 
	nil
	Applied for Authorization under HWM rules on 05.04.2010.
DG SET : 1 X 180. NMR submitted.
Trade Ef: 7.5 KLD Adequacy submitted
 GW : nil
Unit has submitted copy of the letter dated 10.02.2009 in DPCC stating that name of the unit has been changed to M/s World Class Automobiles Pvt. Ltd.. Earlier unit was in the name of M/s Sri Durga Automobiles.
	Inspection be conducted.
	Inspection be expedited. 

	4
	33409
	05-04-2010
	SRI DURGA AUTOMOBILES ( A DIV. OF LIDO COMMERCIAL CO. LTD)
	55, RAMA ROAD
	NAJAFGARH ROAD INDUSTRIAL AREA
	RENEWAL
	Servicing & washing of vehicles
	 
	Nil
	CTO& CTR issued 
applied for CTR on 06.12.06.
Applied for athorization under HWM rules on 05.04.2010
DG Set:1 X 125 KVA NMR submitted 
 TRAde Ef:5 KLD . ETP installed . Adequacy dated Dec, 2009 received
GW. NIL 
	Recommended for grant of renewal of consent. Ask the unit to submit the fresh affidavit and Form-I w.r.t. HWM authorization incorporating the used / waste oil as hazardous waste. 
	Issue renewal of consent. Ask the unit to submit the fresh affidavit and Form-I w.r.t. HWM authorization incorporating the used / waste oil as hazardous waste. 

	5
	33417
	05-04-2010
	PRINCE PRINT PROCESS
	A-60/1
	GTK ROAD INDUSTRIAL AREA
	RENEWAL
	Offset paper/ card board printing
	 
	Nil
	Plot Area:337 sq mt
Year of commencement:1998
DG set: 1x 140kva, 1x 75 kva
Trade effluent: 2.8 KLD
AR of ETP submitted dated 08.03.2010
CTR applied on 23.01.2007
Applied for authorization on 22.01.2007
	Recommended for grant of renewal of consent. Ask the unit to submit the fresh affidavit and Form-I w.r.t. HWM authorization.
	Issue renewal of consent. Ask the unit to apply for fresh authorization under HWM Rules.

	6
	33427
	06-04-2010
	MONA AUTO INDUSTRIES (INDIA)
	PLOT NO 44, POCKET-P, SECTOR-5, DSIDC
	BAWANA INDUSTRIAL AREA
	RENEWAL
	Rubber & Plastic Goods
	 
	 
	BUA: 250 sq yd
GW: Nil
Water Consumption: 125 Lt/Day
Waste Water:
(a) domestic effluent: 60 Lt/day
(b) Trade Effluent: Nil
Year of  estblishment: 2003-04
CTE issued on 09.06.2003. Expired on 03.06.2004.
CTO issued on 12.05.2004. Valid till 15.04.2007.
Applied for CTR on 28.03.2007.
Applied for CTR again on 06.04.2010
	Inspection be conducted in view of the negative list.
	Inspection be expedited in view of the negative list.

	7
	33429
	06-04-2010
	DIMPLE CREATION PVT. LTD
	B-35, HASE-I
	OKHLA INDUSTRIAL AREA
	OPERATE
	Export of Readymade Garments
	In CTR (Green)
01.02.10
Issue SCN for refusal and SCN for closure based on the findings of inspection.
	nil
	1. Trade Effluent: nil
2. G.W: nil
3. D.G.Set: 125 & 82.5  kva, NMR dt. 25.01.10
4. CTE applied on 18.03.10 vd id no. 33205.
6. CTR (Green) applied on 27.08.09 vd id no. 31241. 

SCN were issued on 09.03.10.                                            
	Inspection be conducted.
	Inspection be expedited. 

	8
	33433
	06-04-2010
	SONA DAL UDYOG
	C-335, DSIDC INDL COMPLEX
	NARELA INDUSTRIAL AREA
	OPERATE
	Dall mill
	 
	Nil
	Plot Area:350 sq mt
Year of commencement: Aug 2006
DG set:Nil
Trade effluent:Nil
Stack monitoring report submitted dated 23.03.2010
CTE granted and valid upto 11.09.2006
CTO applied on 24.07.2006
	Recommended for grant of consent to operate.
	Issue consent to operate.

	9
	33434
	06-04-2010
	JAI LAXMI PLASTIC
	PLOT NO 132, POCKET-N, SECTOR-1, DSIDC INDUSTRIAL COMPLEX
	BAWANA INDUSTRIAL AREA
	OPERATE
	Mfg. of PVC packaging material
	 
	 
	BUA: 90 sqm
GW: Nil
Water Consumption: 50 lit/day
Waste Water:
(a) domestic effluent: 20 lit/day
(b) Trade Effluent:Nil
Year of  estblishment: 2009
	Recommended for grant of consent to operate.
	Issue consent to operate.

	10
	33439
	07-04-2010
	MALIK  & COMPANY
	B-52, PHASE-I
	OKHLA INDUSTRIAL AREA
	RENEWAL
	Mfg. of Polythene Bags & Printed Polythene Bags
	 
	nil
	1. Trade Effluent: nil
2. G.W: nil
3. D.G.Set: 125 & 82.5  kva, NMR dt. 25.01.10
4. Fresh authorization not applied.
5.Earlier CTO valid upto 25.07.05 vd id no. 6013 & CTR dt. 10.11.06 vd id no. 19753 pending.
6. CTE not applied.                                             
	Ask the unit to apply for consent to establish. 
	Ask the unit to apply for consent to establish. 

	11
	33442
	07-04-2010
	JAIN PLASTIC WORKS
	WH-48, PHASE-I
	MAYAPURI INDUSTRIAL AREA
	RENEWAL
	Mfg. of plastic granules
	 
	400 LPD
	 CTO& CTR issued.

DG Set:Nil 
 TRAde Ef: Recirculation water
GW. 400 LPD
	Recommended for grant of renewal of consent. Inform to DJB regarding ground water extraction. 
	Issue renewal of consent. Inform to DJB regarding ground water extraction. 

	12
	33443
	07-04-2010
	SEWAK MOTOR WORKSHOP
	B-62/12
	NARAINA INDUSTRIAL AREA PH-II
	OPERATE
	Mfg.  & reconditioning of Engine Parts 
	 
	50 LPD
	CTE issued on 24.04.2010
Apllied for CTO on 19.01.07
DG Set: nil
 Trade eff: Nil
GW : 50 LPD
	Inspection be conducted w.r.t. generation of hazardous waste.
	Inspection done. In view of the inspection, hazardous waste is not generated. Issue cosnent to operate. Inform to DJB regarding ground water extraction. 

	13
	33447
	07-04-2010
	JAWA INTERPRISES
	A-141, GROUND FLOOR, PHASE-II DDA SHED
	OKHLA INDUSTRIAL AREA
	OPERATE
	Mfg. of Poly Bags
	In case of M/s Matha Offset
Issue closuer direction u/s 33 (A) of the Water Act & effectively closure u/s 5 of the EPA to both units.

16.03.10
Pursue effectine closure oreder.
                                
	nil
	Earlier closure direction u/s 5 of EPA & u/s 31 (A) of the Air Act were issued to the unit on 25.07.07 as the same was found in operation in place of M/s Standard Cartons Pvt. Ltd. whose authorization under HWM has already being refused. Letters were also issued to MCD, DJB & BSES on 25.07.07 to cancelled the MCD licenace, disconnect the water connection & power supply respectively.
An inspection was carried out on 05.11.09 w.r.t. M/s Matha Offset (P) Ltd. & it was found that M/s Jawa Enterprises is still operating and electricity/ water connection has not been disconnected so far.
Directions for effective closure was issued to the unit on 04.02.10.  
1. Comencement-  Jan 2005
2. Trade effluent-nil
3. GW- nil
4. DG-nil
5. HWM applied on 07.04.10 vd id no. 0080.
6. CTE applied on 11.02.10 vd id no. 32762.
Letters were issued to MCD, DJB & BSES on 26.04.10 to cancelled the MCD licenace, disconnect the water connection & power supply respectively.
The unit submitted a representation on 20.04.10 alongwith photographs of display board & containers informing that they have applied for CTE, CTO & authorization under HWM. and storing the HW in containers. it has been mentioned that their electricity connection has been disconnected & requested for revokation of closure directions.
	Ask the unit to submit Bank Guarantee of Rs. One Lakh each under Air Act and HWM Rules. If unit submits, the Bank Guarantee, closure directions be revoked provided Bank Guarantee is also submitted by M/s Matha Offset Pvt. Ltd. 
	Ask the unit to submit Bank Guarantee of Rs. One Lakh each under Air Act and HWM Rules. If unit submits, the Bank Guarantee, closure directions be revoked provided Bank Guarantee is also submitted by M/s Matha Offset Pvt. Ltd. 

	14
	33454
	08-04-2010
	YES PLASTWARE
	A-115
	WAZIRPUR INDUSTRIAL AREA
	OPERATE
	mfg of plastic goods
	 
	Nil
	Plot Area:250 sq mt
Year of commencement:2008
DG set:nil
Trade effluent:nil
CTE granted and valid upto 08.04.2010
	Recommended for grant of consent to operate.
	Issue consent to operate.

	15
	33455
	08-04-2010
	KOCHAR PLASTIC INDUSTRIES
	C-112
	NARAINA INDUSTRIAL AREA PH-I
	RENEWAL
	Re processing of plastic
	 
	nil
	CTO & CTR issued
DG SET : nil
Trade Ef:Nil
 GW : nil
Stack attached to extruder.
SMR submitted.
	Recommended for grant of renewal of consent.
	Issue renewal of consent.

	16
	33471
	08-04-2010
	RUPA DAIRY FARM
	C-16, DSIDC
	PATPARGANJ INDUSTRIAL AREA
	OPERATE
	Mfg  of Milk & Milk Products
	 
	900 Lt/day
	BUA: 100 sq mt.
GW: 900 Lt/Day
Water Consumption: 900 Lt/Day
Waste Water:
(a) domestic effluent: 160 Lt/day
(b) Trade Effluent: 700 Lt/day
Year of  estblishment: 2009
CTR issued on 02.06.04. Expired on 15.02.07
Applied for CTR on 10.04.07.
CTE issued on 08.10.09. Valid till 07.10.2010.

Case has been considered in CMC Orane on 07.05.2010 wherein it was decided that "Earlier application of M/s Delite Moulding dated 05.02.2007 be made infructuous in view of the inspection report. Issue consent to establish to M/s Rupa Dairy Farms. "
	Recommended for grant of consent to operate. Application under HWM Rules be made infructuous. Inform to DJB regarding ground water extraction. 
	Issue consent to operate. Application under HWM Rules be made infructuous. Inform to DJB regarding ground water extraction. 

	17
	33472
	08-04-2010
	FINE CABINET WORKS
	C-108/1
	NARAINA INDUSTRIAL AREA PH-I
	RENEWAL
	Offset printing & wood work
	 
	nil
	CTO & CTR issued
DG SET : nil
Trade Ef:Nil
 GW : nil
Applied for renewal of authorization on 28.09.2006
	Recommended for grant of renewal of consent. Ask the unit to apply for fresh authorization under HWM Rules. 
	Issue renewal of consent. Ask the unit to apply for fresh authorization under HWM Rules. 

	18
	33474
	08-04-2010
	SANJAY ENTERPRISES
	21, GALI NO-3
	FRIENDS COLONY INDUSTRIAL AREA
	RENEWAL
	Mfg of Wire & Cables
	16.02.09
Ask the unit to file an affidavit for the pollution ciontrol devices installed.

17.06.09
Issue reminder. Also ask the unit to apply for consent to establish. Call on 19.08.2009
	900 lit/day
	BUA: 100 sq mt.
GW: 900 Lt/Day
Water Consumption: 150 Lt/Day
Waste Water:
(a) domestic effluent: 50 Lt/day
(b) Trade Effluent: Nil
Year of  estblishment: 1979.
CTO issued on 04.02.2003. Expired on 23.07.2005.
Applied for CTR on 10.11.2006.

Letter issued.
Reply received from the unit with affidavit on 23.07.09.

Applied for CTE on 08.04.2010.
	Inspection be conducted.
	Inspection be expedited. 

	19
	33487
	09-04-2010
	DELHI GYMKHANA CLUB LTD.
	2, SAFDARJUNG ROAD
	NC-ND
	RENEWAL
	promotion of sports and other pastimes and associated resturant services
	24.06.2009-Re-insppection be done and report
Inspection done on 18.11.2009
	130 KLD
	Plot Area:110520 sq mt
Year of commencement:1913
DG set:2x500 kva
Trade effluent:70kld
CTO granted and valid upto 25.04.2010
CTE granted and valid upto 01.11.2008
Reply received on 28.12.2009, analysis report of water effluent.
SCN issued on 16.01.2010
Reply received on 27.01.2010
	Implement the earlier CMC's decision dated 07.05.2010. Inform DJB for ground water extraction.
	Unit submitted Bank Guarantee on 01.07.2010. Issue renewal of consent. Inform to DJB fro ground water extraction. 

	20
	33488
	09-04-2010
	AVON CHEMICALS
	B-8
	JHILMIL INDUSTRIAL AREA
	OPERATE
	Mfg of Ferric Chloride Liquid
	 
	 
	BUA: 600 sq mt.
GW: Nil
Water Consumption: 400 Lt/Day
Waste Water:
(a) domestic effluent: 200Lt/day
(b) Trade Effluent: Nil
Year of  estblishment: 1995
VTO cancelled.
Applied for CTO on 29.03.2007.
Applied for CTO again on 09.01.2010.
	File be put up administratively. 
	Inspection be conducted for ascertaining the inclusion of the activity in negative list and also to ascertain the compliance of MSIHC Rules, 1989.

	21
	33496
	09-04-2010
	RACHNA ELECTRICALS PVT. LTD.
	GI-118-119, PHASE-II
	MAYAPURI INDUSTRIAL AREA
	OPERATE
	Mfg. of Electrical Home Products
	Decision on 13.11.2009
Issue Consent to Establish. Subsequently, inspection be conducted.
Decision on 23.03.2010.
Ask the unit to apply for consent to operate and authorization under HWM Rules. 
	300 LPD.
	letter issued on 03.05.2010. Unit has applied for CTO,
trade effluent:- 250 LPD, Adequacy and effluent analysis report submitted,.
D.G set of 125 KVA installed. NMR dated 15.02.2010 and SMR dated 31.03.2010 submitteed.
Applied for authorization on 09.04.2010
	Recommended for grant of consent to operate and authorization under HWM Rules. Inform to DJB regarding ground water extraction.
	Issue consent to operate and authorization under HWM Rules. Inform to DJB regarding ground water extraction.

	22
	33499
	12-04-2010
	DEEPAK HYDRAULICS (INDIA) PVT. LTD.
	A-27/3, PHASE-I
	MAYAPURI INDUSTRIAL AREA
	RENEWAL
	Mfg. of Scientific & Engineering instruments including pumps.
	 
	nil
	Earlier CTO issued on 25.03.2004 valid upto 25.02.2007.
Applied for CTO_R on 14.02.2007.
trade effluent:- nil
D.G set:- nil
	Ask the unit to apply for consent to establish. 
	Ask the unit to apply for consent to establish. 

	23
	33510
	12-04-2010
	SWASTIC FOOD PRODUCTS
	C-35/8
	LAWRENCE ROAD INDUSTRIAL AREA
	OPERATE
	mfg of engg good, pvc footwear and injection moulded goods
	 
	135 ltd
	Plot Area:632 sq yards
Year of commencement:2002
DG set:nil
Trade effluent:nil
CTO granted and valid upto 06.11.2006
CTO applied on  23.10.2006
	Ask the unit to apply for consent to establish. Inform to DJB regarding extraction of ground water.
	Ask the unit to apply for consent to establish. Inform to DJB regarding extraction of ground water.

	24
	33511
	12-04-2010
	BRIGHT ELECTROPLATING INDUSTRIES
	C-5/2
	WAZIRPUR INDUSTRIAL AREA
	RENEWAL
	job work of electro plating
	 
	Nil
	Plot Area:516 sq mt
Year of commencement: 1970
DG set:1x125 kva
Trade effluent:450 ltd
CTR granted and valid upto 06.02.2010
CTR applied on 16.04.2004
	Recommended for grant of renewal of consent.
	File be put up administratively.

	25
	33512
	13-04-2010
	KIRPA RAM ENGRAVER
	A-15
	NARAINA INDUSTRIAL AREA PH-II
	RENEWAL
	Printing without trade effluent.
	 
	200 LPD.
	Earlier CTO & CTO_R issued valid upto  28.02.2010 .unit has applied for authoraisation under HWM on 21.07.06.
No Trade effluent.
No D.G.Set.
	Recommended for grant of renewal of consent. Ask the unit to apply for fresh authorization under HWM Rules. Inform to DJB regarding ground water extraction. 
	Issue renewal of consent. Ask the unit to apply for fresh authorization under HWM Rules. Inform to DJB regarding ground water extraction. 

	26
	33513
	13-04-2010
	KIRPA RAM ENGRAVER & SONS
	A-15
	NARAINA INDUSTRIAL AREA PH-II
	RENEWAL
	printing
	 
	300 LPD.
	Earlier CTO & CTO_R issued valid upto  28.02.2010 .unit has applied for authoraisation under HWM on 14.07.06.
No Trade effluent.
No D.G.Set.
	Recommended for grant of renewal of consent. Ask the unit to apply for fresh authorization under HWM Rules. Inform to DJB regarding ground water extraction. 
	Issue renewal of consent. Ask the unit to apply for fresh authorization under HWM Rules. Inform to DJB regarding ground water extraction. 

	27
	33517
	13-04-2010
	DELHI TRANSPORT CORPORATION
	NANGLOI DEPOT
	NANGLOI DSIDC INDUSTRIAL AREA
	RENEWAL
	Repair maintanence, washing & servicing of CNG Buses.
	 
	14 KLD
	Earlier CTO issued valid upto 11.12.09. Applied for authorisation under HWM on 22.01.09.
Trade effluent: 11.2 KLD.ETP installed adequacy & effluent analysis report dated january 2010 submitted.
D.G.Set: 62.5 KVA installed. NMR dated 29.01.2010 submitted.
	Ask the unit to apply for consent to establish. Inform to DJB regarding extraction of ground water.
	Ask the unit to apply for consent to establish. Inform to DJB regarding extraction of ground water.

	28
	33523
	13-04-2010
	MATHA OFFSET PVT. LTD
	A-141, DDA SHED, PHASE-II
	OKHLA INDUSTRIAL AREA
	OPERATE
	Offset Printing unit
	EARLIER CMC DECISION (CTE)
05.10.09
Issue CTE. Subsequently, inspection be conducted to know the present status of the unit.
21.12.09/ 22.12.09
Issue closure direction.

 
	nil
	CTE issued on 27.10.09 and inspection was conducted on 05.11.09. as desided in CMC on 04.12.09, Closure Direction u/s 33 of the Water Act & u/s 5 of the EPA on 04.02.10.
The unit has submitted its representation on 11.02.10 & 20.04.10 regarding retification of deficiencies & requested for revokation of closure directions. 

1. Comencement-  Jan 2005
2. Trade effluent-100 lt/d, adequacy report dt. March 2007 & Effluent Analysis Report dt. 22.02.10 submitted.
3. GW- nil
4. DG-nil
5. CTO pending on 12.06.07 vd id no. 21795. 
6. CTE issued on 27.10.09 vd id. No.21638.
7. HWM applied on 07.04.10 vd id no. 0079.
	Ask the unit to submit Bank Guarantee of Rs. One Lakh each under Air Act, Water Act and HWM Rules. If unit submits, the Bank Guarantee, closure directions be revoked subject to submission of Bank Guarantee by M/s Jawa Internprises.
	Ask the unit to submit Bank Guarantee of Rs. One Lakh each under Air Act, Water Act and HWM Rules. If unit submits, the Bank Guarantee, closure directions be revoked subject to submission of Bank Guarantee by M/s Jawa Internprises.

	29
	33530
	13-04-2010
	S.D. ELECTRONICS
	I-75, POCKET-H, SECTOR-3, DSIDC
	BAWANA INDUSTRIAL AREA
	OPERATE
	Mfg of Electronic & Electrical Goods With Injection Moulding.
	 
	 
	BUA: 80 sq mt.
GW: Nil
Water Consumption: 350 Lt/Day
Waste Water:
(a) domestic effluent: 200 Lt/day
(b) Trade Effluent: Nil
Year of  estblishment: 2005
CTE issued.
Applied for CTO on 13.02.2007
Applied for CTO again on 13.04.2010.
	Recommended for grant of consent to operate.
	Issue consent to operate.

	30
	33536
	13-04-2010
	CHHENNA CORPORATION
	A-6
	NARAINA INDUSTRIAL AREA PH-II
	RENEWAL
	Printing of Graph Papers
	 
	nil
	CTO application for the activity of Super enameling wire dated 28.02.03 was refused on 13.06.03 due to non submission of documents regarding proper channelization to control fugitivi emmissions.

CTO & CTR issued valid upto 28.02.2010 for the activity of pritning of graph paper.
Applied for renewal of authorization under HWM Rules on 07.07.04.
As per CTR application :
GW : nil
DG SEt : 35 KVA. MNR submitted
Trade Eff: nil
	Recommended for grant of renewal of consent. Ask the unit to apply for fresh authorization under HWM Rules. 
	Issue renewal of consent. Ask the unit to apply for fresh authorization under HWM Rules. 

	31
	33537
	13-04-2010
	NEW SAMRAT METAL COMPAY LTD
	B-125, IST FLOOR, PHASE-I
	OKHLA INDUSTRIAL AREA
	RENEWAL
	Mfg. of readymade garments, Home furnishing with washing
	 
	nil
	1. Comencement- 2001
2. Trade effluent-3000 lt/d, adequacy report dt. May 2009 with an advice to install flow measuring device within the ETP & Effluent Analysis Report dt. 15.05.09 submitted.
3. GW- nil
4. DG-125 Kva, NMR dt. 15.01.10 submitted.
5. Boiler: One diesel fired, SMR submitted dt. 15.01.10.
6. CTR pending on 01.01.08 vd id no. 24623. 
7. CTE issued on 15.06.04 vd id. No.10842 & CTO valid up to 13.09.07 vd Id no. 12008.
	Recommended for grant of renewal of consent.
	Issue renewal of consent.

	32
	33541
	15-04-2010
	ARIHANT INDUSTRIES
	C-53, PHASE-I
	OKHLA INDUSTRIAL AREA
	OPERATE
	Cold Storage & Refrigeration
	 
	nil
	1. Comencement- June 2007
2. Trade effluent-nil
3. GW- nil
4. DG-125 Kva, NMR dt. 31.03.10 submitted.
5. CTO pending on 06.06.07 vd id no. 21689. 
6. CTE issued on 30.01.08 vd id. No.18376.
	Recommended for grant of consent to operate.
	Issue consent to operate with the condition to comply with MSIHC Rules, 1989.

	33
	33542
	15-04-2010
	MUKESH PLASTICS
	PLOT NO 69/6A
	NAJAFGARH ROAD INDUSTRIAL AREA
	RENEWAL
	Plastic injection moulded items
	 
	nil
	Earlier CTO & CTR issued valid upto 20.04.07
 DG Set :Nil 
 Trade Eff:Nil 
GW :Nil
	Recommended for grant of renewal of consent.
	Issue renewal of consent.

	34
	33548
	15-04-2010
	ANAND ENTERPRISES
	315/9A
	SHAHZADA BAGH INDUSTRIAL AREA
	OPERATE
	Mfg of Plastic Moulding Crockery
	 
	 
	BUA: 83 sq mt.
GW: Nil
Water Consumption: 0.04K Lt/Day
Waste Water:
(a) domestic effluent: 0.03 K Lt/day
(b) Trade Effluent: Nil
Year of  estblishment: 1992
Applied for CTO on 16.04.2007.
Applied again form CTO on 15.04.2010.
	Recommended for grant of consent to operate.
	Ask the unit to apply for consent to establish.

	35
	33549
	15-04-2010
	PRAGYA PRODUCTS PVT. LTD.
	PLOT NO 2, BLOCK-B, COMMUNITY CENTRE, SHALIMAR BAGH
	NC-NW
	OPERATE
	commercial complex.
	Main file of the unit was submitted to Chairman, DPCC on 26.02.09 as desired by him and the same is yet to be received. Hence, further action is being taken on part file.
Letter issued on 31.03.09 asking the unit to submit a copy of EC.
Reply received along with a copy of Environmental Clearance issued by SEIAA.
Letter issued on 28.05.09 for itemwise compliance of Environmental Clearance's condition's.
Reply received on 17.06.09
	Nil
	Year of Comencement: 2007
Plot area: 8710 sq mt
Trade Effluent: 5400 Ltrs.
DG: 1250 kva & 500 kva stack hight 7.2 mtrs of both DG sets.
CTE applied on 07.08.2008
	Link the case with CTE application and put up administratively. 
	Decision deferred as the matter is being dealt administratively.

	36
	33550
	15-04-2010
	SUNRISE GARDEN
	KH. NO 31/11, 32/15, BAKAULI, PALLA BAKHTAWARPUR
	NC-NW
	OPERATE
	party lawn 
	 
	 
	listed in farm house agenda
	Implement the decision taken at agenda item no 4.
	Implement the earlier CMC's decision dated 26.05.2010

	37
	33551
	15-04-2010
	RAVI KISHORE ENTERPRISES BRAND NAME "PACIFIC ASIA"
	G-3, RESTAURANT NO 1 & 2 (F), CASCADE SHOPPING CENTRE, NETAJI PLACE, PITAMPURA
	NC-NW
	OPERATE
	Banquet Hall
	16.04.2010-Inspection be conducted in CTE application.
	7000 ltd
	Plot Area:1416.54 sqr mtr
Year of commencementaug. 2008:
DG set:1x250 kva, 2x 125 kva
Trade effluent:5000 lt/d
CTE applied on 30.06.2009
	Inspection be expedited taken in CTE application.
	Issue consent to operate and consent to establish. 
Issue SCN u/s 31(A) of the Air Act and u/s 33 (A) of the Water Act to M/s Food Haweli & M/s Headquarter for closure of the unit. 

	38
	33552
	16-04-2010
	RAVINDRA PLASTIC UDYOG
	A-37
	JHILMIL INDUSTRIAL AREA
	RENEWAL
	Mfg  of Plastic Products
	 
	 
	BUA: 200 sq mt.
GW: Nil
Water Consumption: 100 Lt/Day
Waste Water:
(a) domestic effluent: 50 Lt/day
(b) Trade Effluent: Nil
Year of  estblishment: 1996
CTR issued 
Applied for CTR again on 16.04.2010. 
	Ask the unit to clarify whether the D.G. Set existing earlier have been removed as the unit was in possession of the D.G. Set as per earlier consent application. 
	Ask the unit to confirm its reply on an affidavit.

	39
	33553
	16-04-2010
	KLJ TOWER NORTH
	B-5, DISTRICT CENTRE, NETAJI SUBHASH PLACE
	NC-NW
	OPERATE
	commercial complex "klj tower north"
	                    06.05.2009
Issue final reminder for technical adequacy report. Call on 12.06.2009
                     12.06.2009
Ask the unit to file DJB permission for ground water extraction. Call on 05.08.2009
Letter issued on 21.05.09.
Unit has submitted technical adequacy report on 08.06.09.
                    16.04.2010
Ask the unit to submit following :-
(i) An affidavit indicating date of start of construction and date of completion. (ii) Copy of completion certificate (iii) Copy of approved architechural drawing (iv) copy of sanctioned building plan.
	Nil
	Year of Comencement: april 2010
Plot area: 899.64 sq mt
Trade Effluent: 3100 litrs
DG:2x 500 kva & 380 kva stack hight 4 mtrs of both DG sets.
As per CMC's decision dated 16.04.2010, letter issued on 18.05.2010
	Put up in next CMC.
	Put up in next CMC.

	40
	33556
	16-04-2010
	BANSAL PLASTIC
	O-25, SECTOR-5, DSIDC
	BAWANA INDUSTRIAL AREA
	OPERATE
	Mfg of PVC Products
	05.10.09
Issue CTE.
	 
	BUA: 150 sq mt.
GW: Nil
Water Consumption: 200 Lt/Day
Waste Water:
(a) domestic effluent: 150 Lt/day
(b) Trade Effluent: Nil
Year of  estblishment: 2009
CTR issued on 02.06.04. Expired on 15.02.07
Applied for CTR on 10.04.07.
CTE issued on 08.10.09. Valid till 07.10.2010
	Recommended for grant of consent to operate.
	Issue consent to operate.

	41
	33557
	16-04-2010
	BANSAL PIPE INDUSTRIES
	A-23, SECTOR-5, DSIDC
	BAWANA INDUSTRIAL AREA
	OPERATE
	PVC pipes and products
	 
	 
	BUA: 150 sqm
GW: Nil
Water Consumption: 350 lit/day
Waste Water:
(a) domestic effluent: 200 lit/day
(b) Trade Effluent:Nil
Year of  estblishment: 2009
CTE issued on 18.11.09. Valid till 17.11.2010
	Recommended for grant of consent to operate.
	Issue consent to operate.

	42
	33558
	16-04-2010
	MOHINDER SINGH
	PLOT NO-129, POCKET-O, SECTOR-2, DSIDC
	BAWANA INDUSTRIAL AREA
	RENEWAL
	Mfg. of plastic injection moulding moulding and moulding die on lathe machine
	 
	 
	BUA: 60 sqm
GW: Nil
Water Consumption: 120 lit/day
Waste Water:
(a) domestic effluent: 100 lit/day
(b) Trade Effluent:Nil
Year of  estblishment: 2006
CTE issued on 13.04.06. Expired on 12.04.07.
Applied for CTO on 20.04.07
	Recommended for grant of renewal of consent.
	Issue renewal of consent.

	43
	33563
	16-04-2010
	FLORIDA ELECTRICAL INDUSTRIES LTD
	B-147, PHASE-I
	MAYAPURI INDUSTRIAL AREA
	OPERATE
	Mfg. of Luminaries & Accessories like  HPSV (WITH PHOSPHATING & SPRAY PAINTING)
	 
	250 ltr/d
	CTO issued under orange category for the activity of Mfg, of Elecctrical Fan, Mono Block Pump Water Luminories valid upto24.08.07.
Applied for CTR & CTE on 31.07.07 & 16.04.2010.
Authorization under HWM Rules granted on 06.08.04
Trade Effluent:200 ltr/ day. ETP installed adequacy submitted.
DG Set:1X 62.5 KVA. NMR submitted
GW:250 lts/d
	Recommended for grant of consent to operate. Ask the unit to apply for fresh authorization under HWM Rules. Inform to DJB regarding ground water extraction. 
	Issue consent to operate. Ask the unit to apply for fresh authorization under HWM Rules. Inform to DJB regarding ground water extraction. 

	44
	33564
	16-04-2010
	DEEPA JAIN
	PLOT NO H-1284, DSIDC INDUSTRIAL COMPLEX
	NARELA INDUSTRIAL AREA
	OPERATE
	mfg. of pvc/plastic compound  products.
	 
	Nil
	Year of Comencement: 2005
Plot area: 46.45 sq mt
Trade Effluent:nil
DG: Nil

CTE granted & valid upto 17.11.2006
CTO applied on 22.05.2007
	Recommended for grant of consent to operate.
	Issue consent to operate.

	45
	33565
	16-04-2010
	JAI PRAKASH
	PLOT NO H-1284, DSIDC INDUSTRIAL COMPLEX
	NARELA INDUSTRIAL AREA
	OPERATE
	mfg of pvc/plastic compounds & products.
	 
	Nil
	Year of Comencement: 2005
Plot area: 300 sq mt
Trade Effluent: Nil
DG: Nil

CTE  granted & valid upto 18.10.2006
CTO applied on 22.05.2007
	Recommended for grant of consent to operate.
	Issue consent to operate.

	46
	33568
	16-04-2010
	PRABHAT SANITARYWARE PVT. LTD
	D-2
	SMA INDUSTRIAL AREA
	OPERATE
	mfg of bathrooms fitings, SS sink , plastic moulded items
	21.12.2009
Issue consent to establish.
	Nil
	Plot Area:1000 sq mt
Year of commencement: 2009
DG set: 62.5 KVA
Trade effluent: 500 LTD
CTE granted & valid upto 01.12.2010
CTE granted & valid upto 27.01.2011
Applied for authorization under HWM Rules on 16.04.2010
	Recommended for grant of consent to operate and authorization under HWM Rules.
	Issue consent to operate and authorization under HWM Rules.

	47
	33569
	16-04-2010
	MATRIX BATH FITTINGS PVT. LTD
	PLOT NO 355-A/2, GALI NO-6
	FRIENDS COLONY INDUSTRIAL AREA
	OPERATE
	Mfg. of bathroom sanitary fitting
	 
	 
	BUA: 80 sqm
GW: Nil
Water Consumption: 700 lit/day
Waste Water:
(a) domestic effluent: 100 lit/day
(b) Trade Effluent:500 lit/day
Year of  estblishment: 2010
Applied for CTE on 27.12.07
Applied for authorization on 16.04.2010
	File be put up administratively. 
	Issue consent to operate and authorization under HWM Rules. 

	48
	33574
	19-04-2010
	KHOSLA PRINTING PRESS
	A-24
	NARAINA INDUSTRIAL AREA PH-II
	RENEWAL
	OFFSET Prinitng press (w/o trade Eff)
	 
	NIL
	Earlier CTO & CTR issued valid upto 17.05.2010
.Applied for erenewal of authorization under HWM Rules on 13.07.2006
Applied for CTE on 19.04.2010
. Case is listed  DG Set :Nil 
 Trade Eff:Nil 
GW :Nil
	Recommended for grant of renewal of consent. Ask the unit to apply for fresh authorization under HWM Rules. 
	Issue renewal of consent. Ask the unit to apply for fresh authorization under HWM Rules. 

	49
	33576
	19-04-2010
	SAYONARA PRINTERS
	A-24
	NARAINA INDUSTRIAL AREA PH-II
	RENEWAL
	OFFSET Prinitng press (w/o trade Eff)
	 
	NIL
	Earlier CTO & CTR issued valid upto 17.05.2010
.Applied for erenewal of authorization under HWM Rules
 on 13.07.06
Applied for CTE on 19.04.2010
. Case is listed  DG Set :Nil 
 Trade Eff:Nil 
GW :Nil
	Recommended for grant of renewal of consent. Ask the unit to apply for fresh authorization under HWM Rules. 
	Issue renewal of consent. Ask the unit to apply for fresh authorization under HWM Rules. 

	50
	33577
	19-04-2010
	SOLAR PRINT PROCESS PVT. LTD.
	D-16/2, PHASE-II
	OKHLA INDUSTRIAL AREA
	OPERATE
	Screen Printing & Other Job Work
	In CTE
16.03.10
Issue CTE. Subsequently, inspection be conducted.
	nil
	1. Comencement- Feb 2010
2. Trade effluent-20 lt/d, adequacy report dt. Nov 2009 with some recommendation i.e. installation of flow measuring device & effluent analysis report dt. 20.02.10 submitted.  
3. GW- nil
4. DG-125 Kva, NMR dt. 08.04.10 submitted.
5. HWM applied.
6. CTE issued on 15.04.10 vd id. No.23262.

Inspection was conducted on 29.04.10 & following were the observations:
1. Unit was found operational & a batch type ETP was found in operational condition.
2. The unit is complying with the HWM Rules.
3. The unit is having two DG Set of 125 kva each. however, in the consent application only one DG Set of 125 kva  has been mentioned.
	Recommended for grant of consent to operate and authorization under HWM Rules. Ask the unit to submit noise monitoring report of 115 KVA D.G. St found during the inspection.
	Ask the unit to submit noise monitoring report of 115 KVA D.G. St found during the inspection.

	51
	33578
	19-04-2010
	ANAND BROTHERS
	C-146
	NARAINA INDUSTRIAL AREA PH-I
	RENEWAL
	OFFSET Prinitng
	 
	NIL
	Earlier CTO & CTR issued valid upto 28.02.2010
.Applied for renewal authorization under HWM Rules on 28.09.2006
 DG Set :Nil 
 Trade Eff:Nil 
GW :Nil
	Recommended for grant of renewal of consent. Ask the unit to apply for fresh authorization under HWM Rules. 
	Issue renewal of consent. Ask the unit to apply for fresh authorization under HWM Rules. 

	52
	33581
	19-04-2010
	VEERSON ENGINEERING WORKS
	9./45
	KIRTI NAGAR INDUSTRIAL AREA
	OPERATE
	Mfg. of Plastic moulded items & light Engg. Products
	 
	NIL
	CTE issued  valid upto 16.12.05
  DG Set :Nil 
 Trade Eff:Nil 
GW :Nil
	Recommended for grant of consent to operate.
	Issue consent to operate.

	53
	33583
	19-04-2010
	AUTOMATIC INSTRUMENTS PVT. LTD.
	A-7, PHASE-II
	MAYAPURI INDUSTRIAL AREA
	OPERATE
	Mfg. of Electrical goods  and their components
	 
	GW:800 lts/d
	CTO & CTO-R issued for the activiityof 6"assembling of Electrical goods and their componnents "valid upto 20.10.09
DG Set:1X 100 KVA. NMR submitted
GW:800 lts/d
Stack attached to ECS dust collector installed. Adeeqaucy submitted 
	Recommended for grant of consent to operate.
	Issue consent to operate.

	54
	33586
	19-04-2010
	RAWAT PRINTS
	SHED NO 44, CAT-III, DSIDC
	NANGLOI DSIDC INDUSTRIAL AREA
	OPERATE
	Cloth Printing
	 
	nil
	CTR under green category was made infructous on 08.12.08 as activity falls under orange category.
Applied for CTE on 11.12.08.
  DG Set :Nil 
 Trade Eff:Nil 
GW :Nil
	Recommended for grant of consent to operate. Ask the unit to apply for fresh authorization under HWM Rules. 
	Inspection be conducted. 

	55
	33589
	19-04-2010
	A.K. ROLLING
	C-40/3
	WAZIRPUR INDUSTRIAL AREA
	OPERATE
	Cold re-rolling of SS sheet
	20.10.2009
Inspection be conducted. 
	Nil
	Plot Area: 100 sq mt
Year of commencement:2007
DG set:Nil
Trade effluent:Nil
CTE applied on 22.10.2007
	Inspection done on 15.05.2010. Recommended for grant of consent to operate and consent to establish.
	Issue consent to operate and consent to establish.

	56
	33591
	19-04-2010
	PERFECT SERVICES
	C-105/1
	NARAINA INDUSTRIAL AREA PH-I
	RENEWAL
	 Stickers & Labels  (without trade effluent)
	 
	80 lpd
	CTO  & CTR issued valid upto 08.08.2010
Appplied for Authorization under HWM Rules on 29.04.2010.
Trade effluent:nil
D.G.Set: nil
	Ask the unit to submit Bank Guarantee of Rs. 50,000 under HWM Rules. If, unit submits Bank Guarantee,  issue renewal of consent and authorization under HWM Rules. Inform to DJB regarding ground water extraction.
	Ask the unit to submit Bank Guarantee of Rs. 50,000 under HWM Rules. If, unit submits Bank Guarantee,  issue renewal of consent and authorization under HWM Rules. Inform to DJB regarding ground water extraction.

	57
	33593
	20-04-2010
	GALAXY  AUTOMOBILES PVT. LTD
	5
	RAJASTHAN UDYOG NAGAR INDUSTRIAL AREA
	OPERATE
	repairing and servicing of cars
	 
	6000 LIitres/day
	Year of Comencement: 2009
Plot area: 2484 sq mt
Trade Effluent: 4.800 KLD
DG: Nil

CTE applied on 01.05.2009
	Inspection be conducted w.r.t. decision taken in consent to establish application. Inform to DJB regarding ground water extraction.
	Inspection be expeditd and inform to DJB regarding ground waer extraction.

	58
	33605
	21-04-2010
	HARPREET MOTORS PVT. LTD
	B-242 PHASE-I
	OKHLA INDUSTRIAL AREA
	OPERATE
	Repairing, Denting, Painting & Servicing of Cars
	 
	6000 lt/d
	1. Comencement- July 2009
2. Trade effluent-5200 lt/d, adequacy report dt. Nov 2009 with some recommendation i.e. provision of air dispersion system in collection tank, installation of flow measuring device & effluent analysis report dt. 12.04.10 submitted.  
3. GW- 6000 lt/d
4. DG-125 Kva, NMR dt. 08.04.10 submitted.
5. One paint booth, SMR submitted.
6. HWM applied dt. 21.04.10 vd.id no. 0093.
7. CTE applied on 26.05.09 vd id no. 30061 .
	Decision taken w.r.t. "inspection to be conducted & applying for authorization" taken in CTE reviewed as unit has applied for consent to operate and authorization subsequently. Recommended for consent to operate and authorization under HWM Rules. Inform to DJB regarding ground water extraction.
	Issue consent to operate and authorization under HWM Rules. Inform to DJB regarding ground water extraction.

	59
	33606
	22-04-2010
	ALLOY STEEL COMPANY
	PLOT NO 92, POCKET-M, SECTOR-2, DSIDC
	BAWANA INDUSTRIAL AREA
	OPERATE
	Mfg. of Auto parts, Agriculture parts and crank shafts
	 
	 
	BUA: 60 sqm
GW: Nil
Water Consumption: 500 lit/day
Waste Water:
(a) domestic effluent: 300 lit/day
(b) Trade Effluent:Nil
Year of  estblishment: 2006
CTE issued on 07.03.06. Expired on 06.03.07
	Inspection be conducted
	Inspection be expedited. 

	60
	33612
	22-04-2010
	SHALAKS PHARMACEUTICALS PVT. LTD.
	12, DLF
	NAJAFGARH ROAD INDUSTRIAL AREA
	RENEWAL
	Mfg. of Pharmaceutical Formulation Items
	 
	nil
	CTO & CTR  issued valid upto 25.12.2006. Applied for CTR on 08.01.2007.
Authorization under HWM Rules granted on16.01.04
Applied for renewal of authorizatiion under HWM rules on 03.08.2006
Trade Effluent:400 ltd. Adequacy report of ETP submittted on 26.03.2010.
D.G.Set: 100 KVA. NMR submiitteed on 16.03.2010.
	Recommended for grant of renewal of consent. Ask the unit to apply for fresh authorization under HWM Rules. 
	Issue renewal of consent. Ask the unit to apply for fresh authorization under HWM Rules. 

	61
	33613
	22-04-2010
	SHIV SERVICE STATION
	SECTOR-1, PHASE-I, DWARKA, PAPPANKALA
	NC-SW
	RENEWAL
	Filling cum  seviice  station
	 
	nil
	CTO & CTO-R issued valid upto 15.05.2010.
Appplied for renewal of Authorization under HWM Rules on 22.04.2010
Trade Effluent:5 KLD. Submitteddequacyreport  of ETP on 27.03.2010.
DG Set:30 KVA. NMR submitted on 18.03.2010
GW:nil
	Recommended for grant of renewal of consent. Ask the unit to submit the fresh affidavit and Form-I w.r.t. HWM authorization incorporating the used / waste oil as hazardous waste. 
	Issue renewal of consent. Ask the unit to submit the fresh affidavit and Form-I w.r.t. HWM authorization incorporating the used / waste oil as hazardous waste. 

	62
	33615
	22-04-2010
	STANDARD CAPACITOR
	B-70/43, DSIDC
	LAWRENCE ROAD INDUSTRIAL AREA
	RENEWAL
	electrical capacitors.
	 
	Nil
	Plot Area:1230 sq ft
Year of commencement:1976
DG set:nil
Trade effluent:nil
CTR  applied on 08.11.2006
	Ask the unit to apply for consent to establish.
	Ask the unit to apply for consent to establish.

	63
	33621
	22-04-2010
	PRATAP INDUSTRIES
	PLOT NO 172, BLOCK/SECTOR-A, DSIDC
	NARELA INDUSTRIAL AREA
	OPERATE
	Dall mill
	 
	Nil
	Plot Area: 350 sq mt
Year of commencement: 2006
DG set: 75 kva 
Trade effluent: nil
CTO applied on 10.05.2007
CTE granted and valid upto 14.02.2007
Adequacy report of April 2007.
	Recommended for grant of consent to operate.
	Issue consent to operate.

	64
	33622
	22-04-2010
	S.S. INDUSTRIAL CORPORATION
	G-10
	UDYOG NAGAR INDUSTRIAL AREA
	RENEWAL
	Mfg. of automotive  coolant.
	 
	nil
	CTO & CTO-R issued valid upto 28.07.06.Applied fpr CTR on  28.11.2006.
DG Set:62.5 KVA& 10 KVA. NMR dated 01.04.2010
Trade effluent: nil
GW:nil
	Recommended for grant of renewal of consent.
	Issue renewal of consent.

	65
	33630
	23-04-2010
	MANOHAR FILAMENTS PVT. LTD
	B-59
	GTK ROAD INDUSTRIAL AREA
	OPERATE
	mfg of garments lables and paper tags (w/o washing and dying)
	 
	2300 ltd
	Plot Area:600 sq mt
Year of commencement:feb 1992
DG set:125 kva
Trade effluent:nil
CTO applied on 23.04.10.
Applied for authorization on 04.08.2006
	Recommended for grant of consent to operate. Ask the unit to apply for fresh authorization under HWM Rules. 
	Issue consent to operate. Ask the unit to apply for fresh authorization under HWM Rules. 

	66
	33632
	23-04-2010
	ALLIED PUBLISHERS PVT. LTD
	A-104, PHASE-II
	MAYAPURI INDUSTRIAL AREA
	OPERATE
	offset printing
	 
	GW:300 lts/d. CGWA permission in  the name of Owner submmitted
	CTR refused vide refusal no. 1562  on 05.12.06
Applied for CTO on 24.01.07 &  CTE on 08.06.2009
Applied for renewal of authorizatiion under HWM rules on 23.04.2010.
Trade Effluent:250 ltr/ day. ETP installed adequacy submitted.
DG Set:2X 62.5 KVA. NMR submitted
GW:300 lts/d. CGWA permission in  the name of Owner submmitted 
	Recommended for grant of consent to operate and authorization under HWM Rules.
	Issue consent to operate and authorization under HWM Rules.

	67
	33634
	23-04-2010
	SHARNAM MOTOR SERVICES PVT. LTD
	BAWA POTTERIES COMPOUND, ASAF ALI ROAD, VASANT KUNJ
	NC-SW
	RENEWAL
	Car service station
	Decision dated 16.03.09
Ask the unit to apply for CTE & submit fresh adequacy report of ETP from many empanelled consultants of DPCC. Also SIT II to inspect and report for ascertaining the source of Water supply.
Decision on 24.06.09
Consent of M/s Rama motors Pvt. Ltd. be refused. Issue SCN for closure to M/s Sharnam Motors Pvt. Ltd. based on SIT report.
	nil
	CTO valid upto 08.01.2007
Applied for CTR on 5.02.2007
Applied for renewal of authorizatiion under HWM rules on 23.04.2010
Consent of MS RAma  motors refussed on 20.07.09 vide refusal no 1823. 
Trade effluent: 3.5 KLD. Adequacy rreport of ETP submitted dated 08.04.2010
D.G.Set:  125 KVA. NMR submitted dated 09.04.2010
G.W: nil
	Inspection be conducted.
	Inspection be expedited. 

	68
	33637
	23-04-2010
	SHAKTI COTTAGE INDUSTRIES
	T-1/93, PHASE-I
	MANGOL PURI INDUSTRIAL AREA
	RENEWAL
	PVC flaxible pipe
	 
	130 lt/d
	Plot Area:133 sq mt
Year of commencement:2002
DG set:Nil
Trade effluent:nil
CTE granted  and valid upto 15.10.2003
CTO granted  and valid upto 29.04.2007
CTR applied on 26.04.2007
	Recommended for grant of renewal of consent. Inform to DJB regarding ground water extraction. 
	Issue renewal of consent. Inform to DJB regarding ground water extraction. 

	69
	33643
	23-04-2010
	VIJAYPAL INDUSTRIES
	PLOT NO 47, POCKET-P, SECTOR-1
	BAWANA INDUSTRIAL AREA
	OPERATE
	Unit is Engineering work
	01.05.09
Issue CTE.
	 
	BUA: 150 sq mt.
GW: Nil
Water Consumption: 100 Lt/Day
Waste Water:
(a) domestic effluent: 25 Lt/day
(b) Trade Effluent: Nil
Year of  estblishment: 2009
Applied for CTO under Orange on 18.07.2006. on 10.04.07.
CTE issued under Green on 15.05.09. Valid till 14.05.2010.
Applied for CTO on 23.04.2010.
	Shfit to CMC(Green) Committee. Enquiry Counter be informed to correct the record.
	Decision of Scrutinizing Committee be implemented.

	70
	33648
	26-04-2010
	MALHOTRA CABLES PVT LTD.
	69/2A
	NAJAFGARH ROAD INDUSTRIAL AREA
	RENEWAL
	Mfg. of PVC insullated wire & cables.
	 
	1.030 KLD
	Issued CTO & CTR on 16.06.2007
Appllied for CTR on 08.08.2007
Trade efflluent: nil
D.G.Set: 200 KVA.NMR submitted dated 06.03.2010
	Recommended for grant of renewal of consent. Inform to DJB regarding ground water extraction. 
	Issue renewal of consent. Inform to DJB regarding ground water extraction. 

	71
	33659
	26-04-2010
	UDAY GLASS WORKS
	58, WHS, FURNITURE BLOCK
	KIRTI NAGAR INDUSTRIAL AREA
	OPERATE
	Glass processing
	Decision on 12.02.2010/15.02.2010
Recommendation on the file for issuing closure order to (i) M/s' Uday Glass, 58, WHS, Furniture Block, Kirti Nagar Industrial Area, New Delhi.(ii) Prince Glass, 64, WHS Furniture Block, Kirti Nagar indl. AreaNew Delhi & (iii) M/s A.S. Concepts,75, WHS furniture block, Kirti nagar Indl Area, New Dehli, approved by committee.
                      07.05.2010
Decision proposed on file to ask for Bank Guarantee of Rupees One Lakh each under Air Act and Water Act is approved. If the same is submitted, closure direction be revoked. 
	nil
	Public Complaint was received against the unit. Unit was inspected on 21.10.09.
Direction for closure issued on 11.03.2010
Unit submitted its reply along with affidavit & Applied for CTE on 25.01.2010
D.G.Set: nil
Trade Effluent: 200LTD. Aadequacy report of ETP submitted dated april 2010
Applied for authorization on 26.04.2010
	Implement the earlier CMC's decision dated 07.05.2010
	Issue cosnent to operate, consent to establish and authorization under HWM Rules.

	72
	33660
	27-04-2010
	TIGER PLASTIC INDUSTRIES
	38, DLF
	KIRTI NAGAR INDUSTRIAL AREA
	RENEWAL
	Mfg. of PVC/plasstic products by injuctiion moulding machine
	 
	340 lpd
	CTE issued valid upto  07.04.04.
CTO issued valid upto 15.02.07
Applied for CTR on 06.03.07.
Trade effluent:nil
D.G.Set: nnil
G.W.: 340 ltd
	Recommended for grant of renewal of consent. Inform to DJB regarding ground water extraction. 
	Issue renewal of consent. Inform to DJB regarding ground water extraction. 

	73
	33662
	27-04-2010
	S.M.S. EXPORTS
	C-170, PHASE-I
	OKHLA INDUSTRIAL AREA
	OPERATE
	Mfg. of Readymade Grament
	 
	nil
	1. Comencement-1992
2. Trade effluent-1000 lt/d, adequacy report & effluent analysis report dt. 22.02.10 submitted.  
3. GW- nil
4. DG-200 Kva, NMR dt. 22.02.10 submitted.
5. CTE applied  on 10.06.09 vd id no. 30258.
6. CTR (Green) dt. 17.04.09 vd id no. 1751 has been refused due to washing activity. 
	Decision w.r.t "subsequently, inspection be conducted" taken in CTE application be reviewed. Recommended for grant of consent to operate.
	Issue consent to operate.

	74
	33663
	27-04-2010
	S.M.S. EXPORTS
	D-28, PHASE-I
	OKHLA INDUSTRIAL AREA
	OPERATE
	Readymade Garments (with washing)
	16.04.10
Issue SCN u/s 21/22 of the Air Act & 25/26 of the Water Act.
	nil
	1. Comencement-2009
2. Trade effluent-700 lt/d, adequacy report & effluent analysis report dt. 22.02.10 submitted.  
3. GW- nil
4. DG-200 Kva, NMR dt. 22.02.10 submitted
5. CTE issued on 27.01.10 vd id. No. 22618.

SCN could not be issued as the unit applied for CTO on 27.04.10.
	Recommended for grant of consent to operate.
	Issue consent to operate.

	75
	33664
	27-04-2010
	ANAND KUMAR GUPTA
	E-692, DSIDC
	NARELA INDUSTRIAL AREA
	RENEWAL
	mfg of plastic moulded buckets (household items like balti, water mugs, jugs, etc.)
	 
	250 LIitres/day
	Year of Comencement: 2000
Plot area:350 sq mt
Trade Effluent: Nil
DG: Nil

CTO granted & valid upto 25.07.2005
CTR granted & valid upto 11.06.2009
	Recommended for grant of renewal of consent. Inform to DJB regarding ground water extraction. 
	Issue renewal of consent. Inform to DJB regarding ground water extraction. 

	76
	33665
	27-04-2010
	NITIN GUPTA
	E-732, DSIDC
	NARELA INDUSTRIAL AREA
	RENEWAL
	mfg of pvc footwear
	 
	Nil
	Year of Comencement: 2002
Plot area: 350 sq mt
Trade Effluent: Nil
DG: Nil

CTO granted & valid upto 25.07.2005
CTR granted & valid upto 30.04.2009
	Recommended for grant of renewal of consent.
	Issue renewal of consent.

	77
	33666
	27-04-2010
	SHRI RAM GOYAL
	E-692, DSIDC
	NARELA INDUSTRIAL AREA
	RENEWAL
	mfg of plastic products
	 
	Nil
	Year of Comencement: 2000
Plot area: 350 sq mt
Trade Effluent: Nil
DG: Nil
CTO granted & valid upto 25.07.2005
CTR granted & valid upto01.06.2009
	Recommended for grant of renewal of consent.
	Issue renewal of consent.

	78
	33667
	27-04-2010
	COTTON CLOTHING CORPORATION OF INDIA
	W-8, PHASE-II
	OKHLA INDUSTRIAL AREA
	OPERATE
	Readymade Garments (w/o washing)
	 
	nil
	1. Comencement-2008
2. Trade effluent-nil
3. GW- nil
4. DG-200 & 125 Kva, NMR dt. 22.02.10 submitted
5. CTE issued on 27.01.10 vd id. No. 22619.
	Recommended for grant of consent to operate.
	Issue consent to operate.

	79
	33668
	27-04-2010
	SHIV POLYMERS
	PLOT NO 169, POCKET-L, SECTOR-5, DSIDC
	BAWANA INDUSTRIAL AREA
	OPERATE
	Plastic moulding and injection moulding goods
	 
	 
	BUA: 100 sqm
GW: Nil
Water Consumption: 185 lit/day
Waste Water:
(a) domestic effluent: 70 lit/day
(b) Trade Effluent:Nil
Year of  estblishment: 2006
CTE issued on 22.06.06. Expired on 21.06.07.
Applied for CTO on 21.05.07
	Recommended for grant of consent to operate.
	Issue consent to operate.

	80
	33676
	27-04-2010
	CHAMPION ELCOM PVT. LTD
	PLOT NO 66, SECTOR-2, POCKET-F, DSIDC INDUSTRIAL COMPLEX
	BAWANA INDUSTRIAL AREA
	OPERATE
	PVC wires and cables & Mfg. of Electrical components
	 
	 
	BUA: 250 sqm
GW: Nil
Water Consumption: 220 lit/day
Waste Water:
(a) domestic effluent: 150 lit/day
(b) Trade Effluent:Nil
Year of  estblishment: 2005
CTE granted on 30.11.2004 for the activity of mfg of electronics components (t.v. & radio parts) 
	Ask the unit to apply for consent to establish. 
	Ask the unit to apply for consent to establish. 

	81
	33678
	27-04-2010
	ROOP SIGN & GRAPHICS P. LTD
	C-134, PHASE-II
	MAYAPURI INDUSTRIAL AREA
	OPERATE
	Digital Printing
	 
	 
	Applied for CTE on 05.02.07. CTE granted under green category on 11.09.08 valid upto 10.09.09.
CTO under green category was made infructous on 03.03.2010
Applied for CTE on 09.04.2010
Applied for authorization on 05.02.2008
DG Set:nil
Trade Eff: nil
GW:nil
	Recommended for grant of consent to operate. Ask the unit to apply for fresh authorization under HWM Rules. 
	Issue consent to operate. Ask the unit to apply for fresh authorization under HWM Rules. 

	82
	33689
	28-04-2010
	ANKITA PLASTIC
	54A/B-6, RAMA ROAD
	NAJAFGARH ROAD INDUSTRIAL AREA
	RENEWAL
	Mfg. of plasstic products by injuctiion moulding machine
	 
	500 lpd
	CTE issued valid upto 07.04.04
CTO issued valid upto 24.04.07
Applied for CTR on 04.07.07.
Trade effluent:nil
D.G.Set: nil
G.W.: 500 LPD
	Recommended for grant of renewal of consent. Inform to DJB regarding ground water extraction. 
	Issue renewal of consent. Inform to DJB regarding ground water extraction. 

	83
	33693
	28-04-2010
	LEADER SEWING MACHINE CO.
	A-85/2
	NARAINA INDUSTRIAL AREA PH-I
	RENEWAL
	Sheet metal jobs
	 
	nil
	CTO  issued valid upto 16.05.2007
Applied for CTR on 16.05.2007
Trade effluent: nil
D.G.Set: nil
G.W: nil
	Ask the unit to apply for consent to establish. 
	Ask the unit to apply for consent to establish. 

	84
	33694
	28-04-2010
	PRINTMAN ASSOCIATES PVT. LTD.
	PLOT NO 8, PRINTING PRESS AREA
	WAZIRPUR INDUSTRIAL AREA
	OPERATE
	offset printing  
	 
	300 ltr/day
	Year of Comencement: 2010
Plot area: 810 sq mt
Trade Effluent: Nil
DG: 1x62.5 kva 3 mtr above roof
Applied for authorization on 12.09.2006
CTO applied on 15.09.2004
CTE applied on 09.04.2010 listed in agenda no-1.
	Recommended for grant of consent to operate. Inform to DJB regarding ground water extraction. 
	Issue cosnent to operate. Ask the unit to apply for fresh authorization under HWM Rules. Inform to DJB regarding ground water extraction. 

	85
	33695
	28-04-2010
	RAJESH PLASTIC WORKS
	T-2/193, PHASE-I
	MANGOL PURI INDUSTRIAL AREA
	RENEWAL
	Mfg of plastic moulded products
	 
	250 LIitres/day
	Year of Comencement: 2000
Plot area: 200 sq mt
Trade Effluent: Nil
DG: Nil

CTR granted & valid upto 11.02.2007
CTR applied on 05.02.2007
	Recommended for grant of renewal of consent. Inform to DJB regarding ground water extraction. 
	Issue renewal of consent. Inform to DJB regarding ground water extraction. 

	86
	33709
	29-04-2010
	PRINTEK PLASTICS
	WZ-8/2
	KIRTI NAGAR INDUSTRIAL AREA
	RENEWAL
	Mfg. of plastic tubes & sheets
	 
	200 LPD
	CTO issued valid upto 08.08.2003
Applied for CTR on 22.06.07
Applied forCTE on 23.04.09
D.G.Set: 82.5 KVA. NMR submitted dated 01.12.2009
Trade effluent:nil
G.W: nil
	Seek clarification from DDA regarding conformity.
	Seek clarification from DDA regarding conformity.

	87
	33711
	29-04-2010
	BHASIN SERVICE STATION
	DR. K.S. KRISHNAN ROAD, NEAR PUSA GATE
	NC-SW
	RENEWAL
	Petrol pump & service station (washing of cars)
	 
	3.5 KLD
	Issued CTO valid upto 15.02.2007
Applied for CTR on 14.02.2007
Trade effluent: 3.150 KLD. Adequacy report of ETP submitted dated 26.04.1.2010
D.G.Set: 50 KVA. NMR submitted dated16.04.2010
	Ask the unit to apply for consent to establish and fresh authorization under HWM Rules. Inform to DJB regarding extraction of ground water.
	Ask the unit to apply for consent to establish and fresh authorization under HWM Rules. Inform to DJB regarding extraction of ground water.

	88
	33715
	29-04-2010
	POPULAR PLASTIC
	I-2029, DSIDC
	NARELA INDUSTRIAL AREA
	OPERATE
	mfg of PVC  compound and foot wears
	 
	300 ltd
	Plot Area:150 sq mt
Year of commencement:oct 2007
DG set:nil
Trade effluent:nil
CTE granted & valid upto 23.08.2007
CTO applied on 22.08.2007
	Recommended for grant of consent to operate. Inform to DJB regarding ground water extraction. 
	Issue consent to operate. Inform to DJB regarding ground water extraction. 

	89
	33735
	03-05-2010
	SHRINK SPECIALIST
	B-102G, PHASE-I
	MAYAPURI INDUSTRIAL AREA
	OPERATE
	PVC tubes Bags & Shrink Packaging machine
	 
	nil
	CTE refused vide refuusal no. 1254

Applied for CTO on 05.09.06.

DG Set:nil
Trade Eff: nil
GW:nil
	Ask the unit to apply for consent to establish. 
	Ask the unit to apply for consent to establish. 

	90
	33744
	04-05-2010
	PAYOD ADHASIVE
	PLOT NO 199, SECTOR-2, POCKET-D, DSIDC
	BAWANA INDUSTRIAL AREA
	OPERATE
	Mfg. of Paper gum
	 
	 
	BUA: 150 sqm
GW: Nil
Water Consumption: 100 lit/day
Waste Water:
(a) domestic effluent: 50 lit/day
(b) Trade Effluent:Nil
Year of  estblishment: 2005
Applied for CTO on 13.07.06
	Inspection be conducted.
	Inspection be expedited. 

	91
	33746
	04-05-2010
	STEPHY INDUSTRIES
	PLOT NO 7, GALI NO 4
	FRIENDS COLONY INDUSTRIAL AREA
	OPERATE
	Mfg of Kitchen Wares with Buffing 
	16.02.09
Issue SCN  for closure as the unit carrying the activity without taking CTE from DPCC.

17.06.09
Issue SCN u/s 31(A) of the Air Act. Call on 19.08.2009
	 
	BUA: 125 sq mt.
GW: Nil
Water Consumption: 100 Lt/Day
Waste Water:
(a) domestic effluent: 50 Lt/day
(b) Trade Effluent: Nil
Year of  estblishment: 2009
Applied for CTE on 21.05.2009
SCN u/s 31 (A) issued to unit on 24.07.09. No reply received.
	Inspection be conducted.
	Ask the unit to submit Bank Guarantee of Rs. 1 Lakh under Air Act valid for one year.

	92
	33755
	05-05-2010
	JINDAL SUPER DALL MILL
	C-29
	LAWRENCE ROAD INDUSTRIAL AREA
	RENEWAL
	Dall mill
	 
	Nil
	Plot Area:  920 sq mt 
Year of commencement: 1980
DG set: 160 KVA
Trade effluent: Nil
CTR granted & valid upto 23.06.2007
CTR applied on 20.06.2007
AR dated 19.04.2010 and test report submited.
	Recommended for grant of renewal of consent.
	Issue renewal of consent.

	93
	33756
	05-05-2010
	HINDUSTAN DALL UDYOG
	C-36/3
	LAWRENCE ROAD INDUSTRIAL AREA
	RENEWAL
	Dall mill
	 
	Nil
	Plot Area: 510 sqmt
Year of commencement: 1985
DG set: 75 KVA
Trade effluent: Nil
CTR granted & valid upto30.06.2007
CTR applied on 14.06.2007
AR dated 19.04.2010 and test report submited.
	Recommended for grant of renewal of consent.
	Issue renewal of consent.

	94
	33758
	05-05-2010
	TIYA INDUSTRIES
	A-28, PHASE-I
	MAYAPURI INDUSTRIAL AREA
	RENEWAL
	Mfg. of Elastic Rail Clips
	 
	nil
	Issued CTO & CTR on 12.04.2007
Applied for CTR on 11.04.07
Trade efflluent: niil
D.G.Set: 62.5 KVA.  NMR submitted on 16.04.2010.
Stack atttached to boiler SMR submittted dataed  19.04.2010
	Inspection be conducted.
	Inspection be expedited. 

	95
	33760
	05-05-2010
	PATHICK ENGINEERING WORKS
	A-44, PHASE-I
	MAYAPURI INDUSTRIAL AREA
	RENEWAL
	Mfg. of Elastic Rail Clips
	 
	nil
	Issued CTO & CTR on 12.04.2007
Applied for CTR on 11.04.07
Trade efflluent: niil
D.G.Set: 62.5 KVA.  NMR submitted on 16.04.2010.
Stack atttached to boiler SMR submittted dataed  19.04.2010
	Inspection be conducted.
	Inspection be expedited. 

	96
	33761
	05-05-2010
	LUMAN AUTO LIGHT PVT. LTD
	G-10
	UDYOG NAGAR INDUSTRIAL AREA
	RENEWAL
	MFg. of automobile parts
	 
	nil
	Issued CTO & CTR on 04.08.2006
Applied for CTR on 28.11.2006
Trade efflluent: niil
D.G.Set: 2X62.5 KVA.  NMR submitted on 12.04.2010.
	Inspection be conducted to ascertain the mfg process.
	Inspection be expedited to ascertain the mfg process.

	97
	33762
	05-05-2010
	CIPLA INDUSTRIES
	379, FIE
	PATPARGANJ INDUSTRIAL AREA
	RENEWAL
	Mfg of gift Novelties by Injection Moulding 
	 
	 
	BUA: 450 sq mt.
GW: Nil
Water Consumption: 250 Lt/Day
Waste Water:
(a) domestic effluent: 150 Lt/day
(b) Trade Effluent: Nil
Year of  estblishment: 2009
CTR issued on20.02.2004. Expired on 22.04.07
Applied for CTR on 10.05.07.
Applied for CTR agin on 05.05.2010.
	Recommended for grant of renewal of consent.
	Issue renewal of consent.

	98
	33763
	05-05-2010
	H.M. PACHISIA
	F-86, PHASE-II
	MAYAPURI INDUSTRIAL AREA
	RENEWAL
	MFG OF PLASTIC GOODS
	 
	200 lpd
	Issued CTO & CTR on 06.04.2007
Applied for CTR on 14.03.2007
Trade efflluent: niil
D.G.Set: nil
	Recommended for grant of renewal of consent. Inform to DJB regarding ground water extraction. 
	Issue renewal of consent. Inform to DJB regarding ground water extraction. 

	99
	33765
	05-05-2010
	ALKA FOOD PVT. LTD
	26
	SSI INDUSTRIAL AREA
	OPERATE
	mfg of confectionery and aurvedic products
	13.11.2009- issue CTE. Subsequent inspection be conducted.
27.04.2010-Inspection done.Ask the unit to apply fpr CTO. Inform to DJB regarding extraction of ground water
	100 lt/day
	Plot Area:1210sqmt
Year of commencement:2009
DG set:NIL
Trade effluent:NIL

CTE granted & valid upto 14.12.2010
	Recommended for grant of consent to operate. Inform to DJB regarding ground water extraction. 
	Reinspection by AEE to ascertain the water pollution.

	100
	33768
	06-05-2010
	RISHABH PLASTICS
	1/424/34, GALI NO 1
	FRIENDS COLONY INDUSTRIAL AREA
	OPERATE
	Mfg of PVC Compound 
	 
	 
	BUA: 92.81 sq mt.
GW: Nil
Water Consumption: 220 Lt/Day
Waste Water:
(a) domestic effluent: 150 Lt/day
(b) Trade Effluent: Nil
Year of  estblishment: 2009

CTE issued on 25.11.09. Valid till 24.11.2010
	Recommended for grant of consent to operate.
	Issue consent to operate.

	101
	33772
	06-05-2010
	K.L. STEEL
	B-3
	BADLI INDUSTRIAL ESTATE
	RENEWAL
	Re-rolling of MS Round , MS Flats Bars 
	 
	Nil
	Year of Comencement: 2000
Plot area:500 sq mt
Trade Effluent: Nil
DG: Nil
	Ask the unit to apply for consent to establish. 
	Ask the unit to apply for consent to establish. 

	102
	33777
	07-05-2010
	NAFED COLD STORAGE
	A-8
	LAWRENCE ROAD INDUSTRIAL AREA
	RENEWAL
	Cold storage
	 
	0.1 ltd
	Plot Area:6448sqmt
Year of commencement:March,1975
DG set:1 DG set of 250KVA and 1 DG set of 125 KVA.
Trade effluent:0.8KLD
CTO granted and valid upto 30.04.2006
CTR granted and valid upto 19.09.2009
Letter issued on 03.05.2010 stating that unit will submit fee at the old rates for the period upto 08.12.2009 and tan at the new rate thereafter.
	Recommended for grant of renewal of consent. Inform to DJB regarding ground water extraction. 
	Issue renewal of consent with the condition to comply with the MSIHC Rules, 1989. Inform to DJB regarding ground water extraction. 

	103
	33780
	07-05-2010
	JAGDISH INDUSTRIES
	A-10/4
	JHILMIL INDUSTRIAL AREA
	RENEWAL
	Mfg of Cycle Spokes with Zn Plating
	 
	 
	BUA: 178 sq mtr
GW: Nil
Water Consumption: 650 Lt/Day
Waste Water:
(a) domestic effluent: 125 Lt/day
(b) Trade Effluent: 500 Lt/day
Year of  estblishment: 1987
CTR issued on 29.03.2004. Expired on 06.08.2006.
Applied for CTR on 07.09.2006.
Applied for CTR again on 07.05.2010.
AR dated March, 2010 submitted.
	Recommended for grant of renewal of consent and authorization under HWM Rules.
	Issue renewal of consent and authorization under HWM Rules.

	104
	33781
	07-05-2010
	MODERN PLASTICS INDUSTRIES
	A-10/4
	JHILMIL INDUSTRIAL AREA
	RENEWAL
	Mfg. of plastic goods
	 
	 
	BUA: 125 sqm
GW: Nil
Water Consumption: 700 lit/day
Waste Water:
(a) domestic effluent: 175 lit/day
(b) Trade Effluent:Nil
Year of  estblishment: 1970
CTO issued on 25.09.02. Expired on 20.09.05.
CTR issued on 19.06.06. Expired on 08.12.08.
	Ask the unit to clarify whether the D.G. Set existing earlier have been removed as the unit was in possession of the D.G. Set as per earlier consent application. 
	Ask the unit to clarify whether the D.G. Set existing earlier have been removed as the unit was in possession of the D.G. Set as per earlier consent application. 

	105
	33782
	07-05-2010
	SAMARA INDIA P. LTD
	B-32
	GTK ROAD INDUSTRIAL AREA
	RENEWAL
	automobile workshop.
	 
	Nil
	Year of Comencement: 2001
Plot area:1505 sq mt
Trade Effluent: 3100 litters/day
DG: 1x 62.5 kva & stack height 6.0 mtr above roof
CTO granted & valid upto 13.02.2006
CTR applied on 21.02.2007
	Ask the unit to apply for consent to establish. 
	Ask the unit to apply for consent to establish. 

	106
	33783
	07-05-2010
	SAMARA INDIA P. LTD
	B-24, PHASE-I
	OKHLA INDUSTRIAL AREA
	RENEWAL
	Automobile Workshop
	 
	nil
	1. Trade Effluent: 4600 lt/d, adequacy report dt. April 2010 with some recommendation i.e. flow measuring device installation, air dispersion system should be provided in collection tank and effluent analysis report dt. 26.04.10 were submitted.
2. G.W: nil
3. D.G.Set: 125 kva, NMR submitted dt. 18.03.10.
4. One paint booth, SMR not submitted.
5. HWM: applied dt. 07.05.10.
6.Earlier CTR valid upto 21.01.07 vd id no. 9911 & CTR pending dt. 21.09.07 vd id no. 20690.
7. CTE not required.                                             
	Ask the unit to submit stack monitoring report of paint booth as mentioned in consent applicaton from approved laboratory of DPCC. 
	Ask the unit to submit stack monitoring report of paint booth as mentioned in consent applicaton from approved laboratory of DPCC. 

	107
	33790
	10-05-2010
	INDIAN OIL CORPORATON
	MARKETING DIVISION, BIJWASAN
	NC-SW
	RENEWAL
	Storage & Marketing of Petroleum products.
	 
	99.3 KLD
	Issued CTO & CTR on 17.05.2010
Application for renewal of authorization under HWM rules on 26.06.06
Trade efflluent: nil
D.G.Set: 2X500 KVA.NMR submitted dated 06.05.2010
	Recommended for grant of renewal of consent. Ask the unit to apply for fresh authorization under HWM Rules. Inform to DJB regarding ground water extraction. 
	Issue renewal of consent with the condition to comply with theMSIHC Rules 1989. Ask the unit to apply for fresh authorization under HWM Rules. Inform to DJB regarding ground water extraction. 

	108
	33799
	10-05-2010
	SHREE GANESH ENTERPRISES
	A-20, GROUP
	WAZIRPUR INDUSTRIAL AREA
	RENEWAL
	Mfg of plastic tubes and bags with printing
	 
	500 ltd
	Plot Area: 46.45 sq mt
Year of commencement: 1999
DG set:Nil
Trade effluent: Nil
CTO granted & valid upto 27.05.2007
CTR applied on 08.05.2007
	Recommended for grant of renewal of consent. Ask the unit to apply for fresh authorization under HWM Rules. Inform to DJB regarding ground water extraction. 
	Issue renewal of consent with the condition that the unit will comply with the provisions of The Delhi Degradable Plastic Bag Act, 2000 envisaging the minimum thickness of plastic bag as 40 micron and size as 8" x 12". Ask the unit to apply for fresh authorization under HWM Rules. Inform to DJB regarding ground water extraction. 


	Sl. No 
	ID No
	appl_dt
	firm_name
	firm_address
	area_name
	Proposed  Activity/ Product
	Earlier CMC Decisions  
	ATR / Remarks
	Recommendations of Scrutinizing Committee on 15.07.2010
	Decision on 26.07.2010

	1
	33805
	11-05-2010
	TEMPO AUTOMOBILES PVT. LTD
	33 & 33-A
	NAJAFGARH ROAD INDUSTRIAL AREA
	Servicing and washing of vehicles
	 
	Year of commencement : june, 2010
Plot area: 2192 sqm
D.G. Set : nil
Trade efflluent: 400  LPD
	Recommended for grant of consent to establish. Subsequently, inspection be conducted.
	Issue consent to establish. Subsequently, inspection be conducted.

	2
	33807
	11-05-2010
	POLY EXTRUSIONS PVT. LTD.
	197, DSIDC SHED, PHASE-I
	OKHLA INDUSTRIAL AREA
	Manufacturing of Plastic Products.
	In CTR application,
23.03.10
Ask the unit to apply for CTE.
	1. Comencement-1986
2. Trade effluent-nil
3. DG- 100 kva on CTE application & 63KVA on affidavit.
4. GW- nil
5. Earlier CTR  granted on 01.01.04 vd. Id. No. 9138. Two CTR pending dt. 05.02.07 vd. Id. No. 20582 & dt. 18.01.10 vd. Id. No. 32460.
	Recommended for grant of Consent to Establish with the condition that the unit will comply with the provisions of The Delhi Degradable Plastic Bag Act, 2000 envisaging the minimum thickness of plastic bag as 40 micron and size as 8" x 12". 
	Issue consent to establish for the mfg .of plastic tubes with the condition that the unit will comply with the provisions of The Delhi Degradable Plastic Bag Act, 2000 envisaging the minimum thickness of plastic bag as 40 micron and size as 8" x 12". 

	3
	33808
	11-05-2010
	TEEKEYES PLASTICS
	C-156, PHASE-I
	OKHLA INDUSTRIAL AREA
	Manufacturing of Plastic Products.
	In CTR application,
23.03.10
Ask the unit to apply for CTE.
	1. Comencement-March 2002
2. Trade effluent- nil
3. DG- 100 kva on CTE application & 63KVA on affidavit.
4. GW- nil
5. Earlier CTR  granted on 01.01.04 vd. Id. No. 9144. Two CTR pending dt. 05.02.07 vd. Id. No. 20583 & dt. 18.01.10 vd. Id. No. 32461.
	Recommended for grant of Consent to Establish with the condition that the unit will comply with the provisions of The Delhi Degradable Plastic Bag Act, 2000 envisaging the minimum thickness of plastic bag as 40 micron and size as 8" x 12". 
	Issue consent to establish for the mfg .of plastic tubes with the condition that the unit will comply with the provisions of The Delhi Degradable Plastic Bag Act, 2000 envisaging the minimum thickness of plastic bag as 40 micron and size as 8" x 12". 

	4
	33809
	11-05-2010
	JYOTI CONDENSERS
	PLOT NO 305, POCKET-E, SECTOR-5, DSIDC
	BAWANA INDUSTRIAL AREA
	Mfg. of condensors
	 
	BUA: 60 sqm
GW: Nil
Water Consumption: 120 lit/day
Waste Water:
(a) domestic effluent: 25 lit/day
(b) Trade Effluent:Nil
Year of  estblishment: May, 2010
	Recommended for grant of consent to establish. Subsequently, inspection be conducted to verify the correctness of the mfg. process submitted. 
	Issue consent to establish. Subsequently, inspection be conducted to verify the correctness of the mfg. process submitted and to accertain the polluton potential. 

	5
	33817
	11-05-2010
	OSIO ELECTRONICS
	340/43, GALI NO 1B
	FRIENDS COLONY INDUSTRIAL AREA
	PVC products
	21.12.09/22.12.09
Ask the unit to apply for CTE.
27.04.2010
Issue SCN for the refusal of consent
	SCN issued to the unit on 08.06.2010.
CTO issued on 20.06.03.
Applied for CTR on 21.11.06.
Applied for CTR on 20.11.09.
Applied for CTE on 11.05.2010.
	Recommended for grant of consent to establish. 
	Issue consent to establish. 

	6
	33822
	11-05-2010
	UNIQUE INDUSTRIES
	PLOT NO 41, POCKET-D, SECTOR-5, DSIDC
	BAWANA INDUSTRIAL AREA
	Plastic injection moulding products
	 
	BUA: 100 sqm
GW: Nil
Water Consumption: 350 lit/day
Waste Water:
(a) domestic effluent: 200 lit/day
(b) Trade Effluent:Nil
Year of  estblishment: July, 2010
	Recommended for grant of consent to establish. 
	Issue consent to establish. 

	7
	33823
	11-05-2010
	SRI RAM PLASTICS
	PLOT NO 188, POCKET-K, SECTOR-5, DSIDC
	BAWANA INDUSTRIAL AREA
	Plastic products and electrical & electronics accessories, fitting and fixture
	 
	BUA: 80 sqm
GW: Nil
Water Consumption: 300 lit/day
Waste Water:
(a) domestic effluent: 160 lit/day
(b) Trade Effluent:Nil
Year of  estblishment: July, 2010
	Recommended for grant of consent to establish. 
	Issue consent to establish. 

	8
	33824
	11-05-2010
	CHOUDHARY PLASTICS PRODUCTS
	PLOT NO 66, POCKET-C, SECTOR-5, DSIDC
	BAWANA INDUSTRIAL AREA
	Mfg. of Plastic/PVC injection moulded products and mouldingDie parts
	 
	BUA: 200 sqm
GW: Nil
Water Consumption: 400 lit/day
Waste Water:
(a) domestic effluent: 250 lit/day
(b) Trade Effluent:Nil
Year of  estblishment: Aug, 2010
	Recommended for grant of consent to establish. 
	Issue consent to establish. 

	9
	33828
	12-05-2010
	NAGI ENTERPRISES
	A-26/3, PHASE-I
	MAYAPURI INDUSTRIAL AREA
	Plastic cooler body and its items
	 
	Earlier CTO & CTO_R issued  with  name of  Nagi Industries.
Year of commencement: 25.05.2010
Plot area: 250 sqm
D.G. Set: nil
Treade effleunt: nil
	Recommended for grant of consent to establish. 
	Issue consent to establish. 

	10
	33840
	12-05-2010
	MALHOTRA TYRE SERVICES
	PLOT NO 20, PHASE-II
	BADLI INDUSTRIAL ESTATE
	Heat treatment job work w/o trade effluent
	23.03.2010-Ask the unit to apply for consent to establish.
	CTO granted and valid upto 10.02.2007. 
CTR applied on 13.02.2007.
CTR applied on 11.02.2010.
Year of establishment: Jan 2000
Plot area:  418 sq. mt
	Recommended for grant of consent to establish. Subsequently, inspection be conducted to verify the discharge of trade effluent.
	Issue consent to establish. Subsequently, inspection be conducted to verify the discharge of trade effluent.

	11
	33846
	13-05-2010
	S.K. ENTERPRISES
	B-10, DSIDC
	JHILMIL INDUSTRIAL AREA
	Plastic moulded electrical and electronics products, Engg. Work and hoisery
	 
	BUA: 80 sqm
GW: Nil
Water Consumption: 100 lit/day
Waste Water:
(a) domestic effluent: 80 lit/day
(b) Trade Effluent:Nil
Year of  estblishment: June, 2010
	Recommended for grant of consent to establish. 
	Issue consent to establish. 

	12
	33857
	13-05-2010
	MAMANCHAND RAMJIDAS
	18, DLF
	MOTI NAGAR INDUSTRIAL AREA
	Lamination on Cotton or Jute fabrics
	Decision on 23.03.2010
Ask the unit to apply for consent to establish. Refer to DJB for ground water extraction.
	Earlier CTO issued valid upto 22.09.06.
Applied for CTO_R twice on 20.12.06 & 04.02.2010.
D.G.Set: 125 KVA installed. NMR dated 29.12.09 submitted.
Trade effluent: nil. 
	Recommended for grant of consent to establish. Subsequently, inspection be conducted.
	Issue consent to establish. Subsequently, inspection be conducted.

	13
	33859
	13-05-2010
	SHIVAAYE INTERNATIONAL
	B-3, SECTOR-1, DSIDC
	BAWANA INDUSTRIAL AREA
	PVC compound
	 
	GW: Nil
Trade Effluent:Nil
DG Set: Nil
	Recommended for grant of consent to establish. 
	Issue consent to establish. 

	14
	33866
	14-05-2010
	INDIA OFFSET PRESS
	A-1, PHASE-I
	MAYAPURI INDUSTRIAL AREA
	Printing
	 
	Year of comencement: 1976
Plot area: 2500 sqm
D.G. Set: nil
Trade effluent:nil
	Recommended for grant of consent to establish. 
	Issue consent to establish. Issue SCN u/s 21/22 of the Air Act and u/s 25/26 of the Water Act for not applying for renewal of consent. 

	15
	33870
	14-05-2010
	RADHARANI FOOD PRODUCTS (P) LTD.
	PLOT NO 634, BLOCK/SECTOR-C, DSIDC
	NARELA INDUSTRIAL AREA
	Dall mill
	23.03.2010-Ask the unit to apply for consent to establish.
	CTO applied on 06.11.2006.
CTO applied on 11.01.2010.
Year of establishment: May 2006
Plot area:  350 sq. mt
	Recommended for grant of consent to establish. 
	Issue consent to establish. 

	16
	33872
	14-05-2010
	EDEN PARK HOTEL
	SHAHEED JEET SINGH MARG
	NC-S
	Hospitality unit.
	In CTO application,
23.03.10
Refer to DJB for ground water extraction. Ask the unit to apply for consent to establish and compliance be submitted on an affidavit.
	1. Comencement-1986
2. Trade effluent- 72 KLD shown on application form & no information mentioned on affidavit.
3. DG- 750 kva. 
4. Boiler- 2 diesel fired boilers.
5. GW- 57 kl/d shown on application but on an affidavit 77 kl/d water consumption source is corporation.
6. MCD licenec & police licence submitted.
7. Capacity- 96 Rooms & 228 Beds.
8. Earlier CTE refused on 10.10.05 vd. id. no. 892. Two CTO pending on 28.10.05 vd. id. no. 16861 & on 22.01.10 vd. id. no. 32531.
	Recommended for grant of consent to establish. 
	Issue consent to establish. 

	17
	33875
	14-05-2010
	NITIN TOYS INDIA
	PLOT NO 62, SECTOR-1, POCKET-G, DSIDC
	BAWANA INDUSTRIAL AREA
	Plastic goods
	 
	GW: Nil
Trade Effluent:Nil
DG Set: Nil
	Recommended for grant of consent to establish. 
	Issue consent to establish. 

	18
	33880
	14-05-2010
	AAR GEE POWER CONTROL
	PLOT NO 54, POCKET-J, SECTOR-2, DSIDC
	BAWANA INDUSTRIAL AREA
	Mfg. of electrical and electronics power control panels with phosphating
	 
	BUA: 200 sqm
GW: Nil
Water Consumption: 1100 lit/day
Waste Water:
(a) domestic effluent: 50 lit/day
(b) Trade Effluent:800 lit/day
Year of  estblishment: Aug, 2010.
CTE issued on 19.11.09
Earlier closure directions issued.
	Ask the unit to submit Bank Guarantee of Rs. 1 Lakh each under Air Act, Water Act and HWM Rules valid for one year. If, unit submits the Bank Guarantee, closure directions be revoked and consent to establish be issued.
	Ask the unit to submit Bank Guarantee of Rs. 1 Lakh each under Air Act, Water Act and HWM Rules valid for one year. If, unit submits the Bank Guarantee, closure directions be revoked and consent to establish be issued.

	19
	33883
	17-05-2010
	ARIA HOTELS AND CONSULTANCY SERVICES PVT. LTD.
	ASSET NO 4, LAND PARCEL 1A, HOSPITALITY DISTRICT, DELHI AEROCITY, NEAR IGI AIRPORT
	NC-SW
	Five star hotel
	 
	Proposed dated of completion of construction,: march, 2012
Built up area: 90967 .3 m2
Domestic effluent discharge: 492.2 KLd  (STP proposed)
Unit has applied for EC in SEIAA.
D.G. Set:  4X 500 KVA  to be installed . 
Trade eff: nil                 
	Ask the unit to submit environmental clearance and submit an affidavit regarding present state of construction.
	Ask the unit to submit environmental clearance and submit an affidavit regarding present state of construction.

	20
	33892
	17-05-2010
	MICRO PLASTIC
	E-280, SECTOR-2, DSIDC
	BAWANA INDUSTRIAL AREA
	PVC products
	 
	GW: Nil
Trade Effluent:Nil
DG Set: Nil
	Recommended for grant of consent to establish. 
	Issue consent to establish. 

	21
	33893
	17-05-2010
	MICRO FOOTWEAR
	E-279, SECTOR-2, DSIDC
	BAWANA INDUSTRIAL AREA
	Mfg. of PVC products( footwear)
	 
	BUA: 250 sqm
GW: Nil
Water Consumption: 300 lit/day
Waste Water:
(a) domestic effluent: 200 lit/day
(b) Trade Effluent:Nil
Year of  estblishment: 01.06.2010
	Recommended for grant of consent to establish. 
	Issue consent to establish. 

	22
	33895
	17-05-2010
	GARG PLASTIC INDUSTRIES
	B-289, SECTOR-4, DSIDC
	BAWANA INDUSTRIAL AREA
	Plastic products viz Tarpaulin
	 
	GW: Nil
Trade Effluent:Nil
DG Set: Nil
	Recommended for grant of consent to establish. 
	Issue consent to establish. 

	23
	33897
	18-05-2010
	BLUFOX INTERNATIONAL
	11-A, GALI NO 4
	FRIENDS COLONY INDUSTRIAL AREA
	Mfg. of bakelite powder
	16.03.2010
Ask the unit to apply for CTE.
	Letter for CTE issued to unit on  05.05.2010.
CTO issued on 06.06.06.
Applied for CTR on 27.07.07
	Call for personal hearing.
	Call for personal hearing on 30.07.2010 at 5.00 PM.

	24
	33900
	18-05-2010
	ASHU TOYS INDUSTRIES
	PLOT NO 207, POCKET-E, SECTOR-4, DSIDC
	BAWANA INDUSTRIAL AREA
	Plastic Products
	 
	BUA: 100 sqm
GW: Nil
Water Consumption: 145 lit/day
Waste Water:
(a) domestic effluent: 60 lit/day
(b) Trade Effluent:Nil
Year of  estblishment: June, 2010
	Recommended for grant of consent to establish. 
	Issue consent to establish. 

	25
	33901
	18-05-2010
	VISKARMA JOBS
	PLOT NO 235, POCKET-G, SECTOR-2, DSIDC
	BAWANA INDUSTRIAL AREA
	Plastic Products
	 
	BUA: 100 sqm
GW: Nil
Water Consumption: 145 lit/day
Waste Water:
(a) domestic effluent: 60 lit/day
(b) Trade Effluent:Nil
Year of  estblishment: June, 2010
	Recommended for grant of consent to establish. 
	Issue consent to establish. 

	26
	33902
	18-05-2010
	OBEROI ELECTRONICS
	PLOT NO 117, POCKET-J, SECTOR-3, DSIDC
	BAWANA INDUSTRIAL AREA
	Plastic Products
	 
	GW: Nil
Trade Effluent:Nil
DG Set: Nil
	Recommended for grant of consent to establish. 
	Issue consent to establish. 

	27
	33903
	18-05-2010
	MAXPOW POLYCHEM PVT. LTD.
	PLOT NO 114, POCKET-O, SECTOR-1, DSIDC
	BAWANA INDUSTRIAL AREA
	Wire drawing coating, electric cable and welding cable
	 
	BUA: 100 sqm
GW: Nil
Water Consumption: 145 lit/day
Waste Water:
(a) domestic effluent: 75 lit/day
(b) Trade Effluent:Nil
Year of  estblishment: June, 2010
	Recommended for grant of consent to establish. 
	Issue consent to establish. 

	28
	33904
	18-05-2010
	J.R. INDUSTRIES
	PLOT NO 123, POCKET-N1, SECTOR-5, DSIDC
	BAWANA INDUSTRIAL AREA
	PVC compound
	 
	BUA: 247 sqm
GW: Nil
Water Consumption: 225 lit/day
Waste Water:
(a) domestic effluent: 75 lit/day
(b) Trade Effluent:Nil
Year of  estblishment: June, 2010
	Recommended for grant of consent to establish. 
	Issue consent to establish. 

	29
	33905
	18-05-2010
	SUPER INDIA PRODUCTS
	PLOT NO 229, POCKET-L, SECTOR-3, DSIDC
	BAWANA INDUSTRIAL AREA
	PVC footwear
	 
	BUA: 150 sqm
GW: Nil
Water Consumption: 125 lit/day
Waste Water:
(a) domestic effluent: 65 lit/day
(b) Trade Effluent:Nil
Year of  estblishment: June, 2010
	Recommended for grant of consent to establish. 
	Issue consent to establish. 

	30
	33916
	19-05-2010
	LENS EYE ELECTRONICS (INDIA)
	C-130, FFC
	OKHLA INDUSTRIAL ESTATE
	Manufacturing of Plastic Products.
	 
	1. Comencement-June 2008
2. Trade effluent- nil 
3. DG- nil. 
4. Earlier CTE granted in green category on 05.06.09 vd. Id. No. 20512. CTO not applied.
	Recommended for grant of consent to establish. 
	Issue consent to establish. 

	31
	33917
	19-05-2010
	SONU PLASTICS
	PLOT NO 203, POCKET-C, SECTOR-1, DSIDC
	BAWANA INDUSTRIAL AREA
	Plastic products-PVC/Plastic compound and shoe sole
	 
	BUA: 150 sqm
GW: Nil
Water Consumption: 400 lit/day
Waste Water:
(a) domestic effluent: 250 lit/day
(b) Trade Effluent:Nil
Year of  estblishment: July, 2010
	Recommended for grant of consent to establish. 
	Issue consent to establish. 

	32
	33918
	19-05-2010
	GARG FLOOR MILLS & PLASTICS
	PLOT NO 107, POCKET-M, SECTOR-3, DSIDC
	BAWANA INDUSTRIAL AREA
	Mfg. of plastic packaging material (Plastic tubes and plastic bags)
	 
	BUA: 90 sqm
GW: Nil
Water Consumption: 200 lit/day
Waste Water:
(a) domestic effluent: 160 lit/day
(b) Trade Effluent:Nil
Year of  estblishment: July, 2010
	Recommended for grant of Consent to Establish with the condition that the unit will comply with the provisions of The Delhi Degradable Plastic Bag Act, 2000 envisaging the minimum thickness of plastic bag as 40 micron and size as 8" x 12". 
	Issue Consent to Establish with the condition that the unit will comply with the provisions of The Delhi Degradable Plastic Bag Act, 2000 envisaging the minimum thickness of plastic bag as 40 micron and size as 8" x 12". 

	33
	33923
	20-05-2010
	RAVE SCANS PVT. LTD.
	A-8
	NARAINA INDUSTRIAL AREA PH-II
	Offset printing
	 
	Year ofcommencement: June,2010
Plot area: 232.30 sqm.
D.G.Set: 200 KVA. NMR not submitted.
Trade effluent: nil
	Recommended for grant of consent to establish. 
	Issue consent to establish. 

	34
	33926
	20-05-2010
	R.S. GARMENTS
	D-4/3, PHASE-II
	OKHLA INDUSTRIAL AREA
	Manufacturing of Readymade garments. 
	In CTE application (refused),

20.10.09
Inspection by Trainee, CMC be conducted.
12.02.2010 / 15.02.2010
Refusal of consent and issue closure directions to M/s R.S. Garments
Closure directions to M/s Pooja Fashion and issue SCN for closure to M/s Solar Printing Press.
26.05.10
Decision taken on file to seek the Bank Guarantees of Rs. One Lakh each under Air Act and Water Act valid for one year separately from both the units namely M/s R.S. Garments and M/s Pooja Fashion and to ask M/s R.S. Garments to apply for consent to establish and consent to operate under orange category, and to revoke the closure directions issued on 26.03.2010, if the units do so and to conduct inspection in case of M/s Solar Printing Press ratified.
	1. Comencement-01.07.10
2. Trade effluent- nil 
3. DG- 110 kva.
4. Boiler- 1 diesel fired boiler exist.
5. Earlier CTE refused on 25.03.10 vd. Id. No. 1984. As per the enquiry counter record, Unit has applied CTE two times i.e. CTE dt. 10.06.10 vd. Id. No. 34164 & CTE dt. 20.05.10 vd. id. no. 33926. CTO not applied.
6.  Bank Guarantees of Rs. 1 Lakh each under  Air Act & Water Act valid for 
one year submitted on 08.06.10.
	Consent application be made infructuous as unit has again applied for consent to establish on 10.06.2010
	Consent application be made infructuous as unit has again applied for consent to establish on 10.06.2010

	35
	33928
	20-05-2010
	BISLERI INTERNATIONAL PVT.LTD
	60,SHIVAJI MARG
	NAJAFGARH ROAD INDUSTRIAL AREA
	Maunfacturing of Packaged Drinking Water
	Decision on 11.05.09.
Call for personal hearing on 03.06.09 at 5.00 PM.
Decision on 03.06.09
The unit came for personal hearing today. During inspection, 03 bore-well were gound existing for which unit is required to seek permission from DJB as per new order. The unit is drawing huge quantam of ground water and a substantial portion is discharged as reject water from RO. The unit should install tertiary treatment plant for backwash (reject water from RO) and the water should be reutilized.  Call on 22.07.09.
	Earlier unit has applied for CTO on 02.03.07 
As per CMC dated 03.06.09 letter issued to the unit on 21.07.09.No reply received.
Unit has applied for CTE.
Water consumption 331 KLD.
Waste water (domestic) 10 KLD.
D.G. set of 2 x 380 KVA installed. NMR not submitted.
	Issue SCN for refusal of consent.
	Issue SCN for refusal of consent and SCN u/s 33(A) of the Water Act.

	36
	33929
	20-05-2010
	SHIV GANESH POLYMERS (INDIA) P.LTD
	A-115, DSIDC
	NARELA INDUSTRIAL AREA
	mfg of plastic molded products ( injection moulding m/c) w/o trade effluent
	 
	Year of establishment: Aug 2010
Plot area: 350 sq mt
Using fresh plastic dana. Letter received from MCD informing that provisional factory license has been cancelled.
	Recommended for grant of consent to establish. 
	Issue consent to establish. 

	37
	33931
	21-05-2010
	GLOBE POLY MOULD
	13,DLF
	MOTI NAGAR INDUSTRIAL AREA
	Mfg. of plastic products
	 
	CTO issued valid upto 22.07.05
CTO_R application dated  2.08.05 made refuse on 26.09.06 . Case of CTR is listed with CTR cases.
	Recommended for grant of consent to establish. 
	Issue consent to establish. 

	38
	33933
	21-05-2010
	STERLING AUTOMOBILES PVT.LTD
	A-40
	MOHAN CO-OPERATIVE INDUSTRIAL AREA
	Car Washing and Servicing. 
	 
	1. Comencement-June 2010.
2. Trade effluent- 15 kl/d, ETP installed.
3. DG- nil as per application but on affiavit 125 kva DG Set proposed.. 
4. GW- nil
5.  CTO not applied.
	Recommended for grant of consent to establish. Subsequently, inspection be conducted.
	Issue consent to establish. Subsequently, inspection be conducted.

	39
	33934
	21-05-2010
	NAV DURGA RICE TRADERS
	PLOT NO280, POCKET-F, SECTOR-1, DSIDC
	BAWANA INDUSTRIAL AREA
	Wire drawing , coating and electric cable.
	 
	BUA: 150 sqm
GW: Nil
Water Consumption: 100 lit/day
Waste Water:
(a) domestic effluent: 50 lit/day
(b) Trade Effluent:Nil
Year of  estblishment: 2009
	Recommended for grant of consent to establish. 
	Issue consent to establish. 

	40
	33935
	21-05-2010
	NIKHIL TRADERS
	PLOT NO 60, POCKET-K, SECTOR-5,  DSIDC
	BAWANA INDUSTRIAL AREA
	Plastic novelties, Engg. Articles and surgical equipments
	 
	BUA: 60 sqm
GW: Nil
Water Consumption: 10 lit/day
Waste Water:
(a) domestic effluent: 08 lit/day
(b) Trade Effluent:Nil
Year of  estblishment: Dec, 2010
	Recommended for grant of consent to establish. Subsequently, inspection be conducted.
	Issue consent to establish.


	Sl. No 
	ID No
	appl_dt
	firm_name
	firm_address
	area_name
	Activity
	Earlier CMC decision
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	1
	32566
	27.01.2010
	Indian Oil Corporation Ltd.
	Northen Region Pipeline Kapashera
Najafgarh Road, Bijwasan
	Transportation of petroleum product-NEPTHA from Bijwasan to Panipat through underground pipeline
	Year of commencement: Feb, 2010
Plot area: 32760 m2
Trade effluent : nil
D.G. Set: 
	Decision on 23.03.2010
Refer to DJB for Greound water extraction
	CTE issued valid upto 13.05.2010
Letter issued. Unit  submitted its reply on 25.06.2010
	Recommneded for grant of cosnent to operate
	File be put up administratively.

	2
	31038
	40032
	SHREE HANUMAN METAL INDUSTRIES
	PLOT NO 340/7, G. NO. 1B
	FRIENDS COLONY INDUSTRIAL AREA
	Mfg. of Bathroom/ door fittings w/o electroplating
	17.06.09
Confirm closure directions. Call on 19.08.2009.

12.05.2010
Seek compliance report from concerned authorities. 
	Letter issued to BSES and DJB on 15.06.2010. Reply received from BSES on 05.07.2010 stating that electricity connection of the unit was diconnected on 28.06.2010.

Representation received from Sh. Manzrul Islam, 340/7, Friends Colony Industrial Area dated 02.07.2010 in response to the Closure directions issued to the unit namely M/s Chandra Bose Sharma, at Plot No. 340/7, Gali No. 1B, Friends Colony Industrial Area under Air and Water Act on 16.06.2010. In the said representation it has been stated that the unit, which was as their tenant, has vacated the plot six months back and at present no activity is being carried out there. Also it has been requested to revoke the closure directions
	Inspection of the basement of the premises of the unit be conducted  without waiting for minutes.
	Inspection of the basement of the premises of the unit be expedited  without waiting for minutes.

	3
	29997
	39954
	STEPHY INDUSTRIES
	PLOT NO 7, GALI NO 4
	FRIENDS COLONY INDUSTRIAL AREA
	Mfg. of Kitchen Wares with Buffing
	17.06.09
Issue SCN u/s 31(A) of the Air Act. Call on 19.08.2009.

12.05.2010
Confirm closure directions.
	Representation received from the unit namely M/s Stephy Industries, Plot No. 7, Gali No. 4, Friends Colony Industrial Area dated 01.07.2010 in response to the Closure directions issued to the unit under Air and Water Act on 16.06.2010. In the said representation it was stated that the unit had already submitted the reply of the SCN for the refusal of consent dated 24.07.2009 on 07.08.2009 and also enclosed the copy of the same with the reply
	Ask the unit to submit Bank Guarantee of Rs. 1 Lakh under Air Act valid for one year.
	Delete the case from the list as case has already been considered at Sl. No 91 of agenda item no 2. 

	4
	33158
	40252
	VISHAL PRINTERS
	259, FIE
	PATPARGANJ INDUSTRIAL AREA
	Offset Printing
	26.05.2010
File be put up administratively w.r.t. SIT inspection.
	In compliance of the decision dated 26.05.2010 file was put up administratively and it was found that remarks in the earlier CMC meeting was made  due to inadvertant mistake, which is not related with the instant case as the case of M/s Vishal printer is putup for the first time.

Applied for CTE on 15.03.2010
Applied for authorization under HWM Rules on 15.01.2010.
	Recommended for grant of consent to establish.
	Issue consent to establish.

	5
	29092
	24.02.09
	Switch Control (India)
	A-5/5
	Jhilmil Industrial Area
	Mfg. of electrical switch gear by moulding machine.
	 
	A representation received from the unit namely M/s Switch Control (India), A-5/5, Jhilmil Industrial Area, Delhi on 21.06.2010 wherein the unit has requested to issue CTO as early as possible as without the consent from DPCC, SSI certificate was not being issued to the unit.
	Recommended for grant of consent to operate.
	Issue consent to operate.

	6
	24379
	03.12.07
	Electro product India
	M-245, Sec-5, DSIIDC
	Bawana Industrial Area
	Copper wire drawing and Mfg. PVC wire and cables
	 
	Letter to DJB issued on 08.02.2010. No reply received. Representation received from the unit on 05.01.2010 regarding the non issuance of CTO applied on 03.12.07
	Recommended for grant of consent to operate. Inform to DJB regarding ground water extraction.
	Issue consent to operate. Inform to DJB regarding ground water extraction.

	7
	28183
	24.11.2008
	YASHWANT PLACE SERVICE STATION
	Africa Avenue, Opp. Chanakya Cinema
	 
	Filling Station cum service station.
	                   16.03.2009
Ask the unit to apply for authorization under HWM Rules, noise monitoring report of D.G. Set from approved laboratories of DPCC and affidavit for source of  water supply. Call on 29.04.2009.
                     11.05.2009
Issue final reminder for full compliance of earlier CMC decision. Call on 24.06.2009
                      24.06.2009
Issue SCN for refusal of consent. Call on 26.08.2009.
	CTO issued on 09.05.02 valid upto 30.04.05.
CTO-R valid upto 19.09.08.
CTO-R applied on 24.11.08 vide ID no 28183.
Applied for renewal of Athorization on 07.07.2010 vide ID no 245.
SCN issued on 21.07.2009
Reply along with affidavit & noise monitoring report received on 12.07.2010.
	Recommended for grant of renewal of consent and authorization under HWM Rules.
	Issue renewal of consent and authorization under HWM Rules.
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	1
	17255
	16-12-05
	GENERAL POOL OFFICE COMPLEX
	SUB CBD, SHAHDRA
	NC-E
	Office Building
	
 06.01.2010
Application be made infructuous in view of subsequent application dated 03.03.009 and
 file be linked with file vide I.D. No 29148
	The CTE application of M/s General Pool Office Complex , Civil Lines dated 03.03.2009 vide ID No. 29148 is entirely different from CTE application of M/s General Pool, CBD, Shadhara dated 16.12.2005 vide ID No. 17255. In view of this, the decision of CMC meeting dated 06.01.2010 needs to be reviewed.
	Decision dated 06.01.2010  reviewed. Recommended for grant of consent to establish.
	Issue consent to establish.

	2
	29811
	08-05-09
	DEOR METAL INDUSTRIES PVT. LTD.
	16-17/340, GALI NO 1B
	FRIENDS COLONY INDUSTRIAL AREA
	Mfg. of Door fittings, Brass Builder hardware items with electroplating and buffing
	17.06.09
Ask the unit to install flow measuring device and submit an adequacy report of ECS from empanelled consultant of DPCC. Call on 19.08.2009
07.10.09
Ask the unit to file adequacy report of ECS from approved consultanants of DPCC.
25.01.2010
Issue final reminder.
07.05.2010
Issue SCN for refusal of consent and SCN for closure of the unit.
	In the CMC meeting dated 07.05.2010 it was deicded to issue SCN for refusal and SCN for closure as the unit had not submitted adequacy report of ECS. However, adequacy report was already submitted on 06.04.2010 but somehow had got mixed and hence could not be linked with the file in the meeting dated 07.05.2010. in view of the above, case is being put up to review the earlier decision.
	The earlier decision reviewed as the reply has already been received in DPCC on 06.04.2010. Recommended for grant of consent to establish.
	Issue consent to establish.

	3
	30741
	16-07-2009
	BISHAN DASS STEEL TUBES
	PLOT NO B-32
	JHILMIL INDUSTRIAL AREA
	Fabricating of Stainless Steel tubes and pipes (With pickling)
	               Recommendations of Scrutinizing Committee on 06.04.2010/07.04.2010/08.04.2010/09.04.2010 
 Case be kept in abeyance in view of the fact that final outcome of the committee constituted for the S.S. Pickling is still awaited.
                       Decision of CMC dated 12.05.2010
Decision deferred till final outcome of the committee.
	BUA: 800 sqm
Ground Water: nil
Water Consumption:1200 lit/day
Waste Water:
(a) Domestic Effluent: 100 lit/day
(b) Trade Effluent: 1000 lit/day
Year of Establishment: 1990

CTR issued on 14.12.05. Expired on 09.01.08.
Applied for CTR on 22.08.08.
Applied for CTE on 16.07.09
File was put up administratively and it was decided to put up in Scrutinizing Committee.
	No action.
	Decision dererred till final outcome of the committee.

	4
	28604
	06.01.2009
	Saksham Promoters India Ltd.
	B-2, Lawrence Road Industrial Area, Britannia Chowk
Delhi-110035
	 Lawrence Road Industrial Area
	Banquet hall
	05.11.2008  inspection was conducted by SIT on 03.09.2008 wherein various defiencies were observed.  Unit may be asked to corrrect the deficiencies 
18.12.2008 Ask the unit to file clearn reply with affidavit correcting the deficiencies noted by SIT during inspection.  Unit Submit its reply on affidavit. 
21.01.2009  call on 25.02.2009 for full compliance.
25.02.2009  unit be asked to submit BG of rs. 50000 under water act and HWM Rules.  Unit should furnance SGWA permission for ground water drawl and install rain water harvesting facility. 
16.03.2009  call on 02.04.2009 
02.04.2009  call on 12.05.2009 
12.06.2009  ask the unit to file BG
06.08.2009  ask the unit to file BG of Rs. 50000 and to file AR 
20.10.2009-Issue SCN for refusal and for closure of the unit.
	BUA :  1839.2sq.m
EC : NA
Water Consumption :0.9KLD
Waste Water generation : 
(a) Domestic effluent: 0.3KLD
(b) Trade effluent: 0.5KLD
Total Project Cost : 2.92 crores
Date of Commissioning: 2006
Environmental Damages:NA
Bank Guarantee : Rs. 50,000 under water act and HWM rules.
Inspection done on 21.05.2010.
	Recommended for grant of consent to operate.
	Issue consent to operate.

	Sl. No 
	ID No
	appl_dt
	firm_name
	Category
	Proposed  Activity/ Product
	Details
	Earlier CMC Decisions  
	ATR / Remarks
	Status of Compliance
	Recommendations of Scrutinizing Committee on 15.07.2010
	Decision on 26.07.2010

	5
	29693
	28.04.2009
	Evershine Electrical work
59, Najafgarh Road Industrial Area
	Renewal
	Mfg. of Electrical 
wire & cable.
	G.W: nil
Trade effluent : nil
D.G. Set: 125 KVA, NMR submitted dated 03.03.09
Plot area: 1670 (in old record plot area is mentioned 2065 sqm)sqm
No. of workers: 14 
	 
	Earlier CTO & CTO_R issued
valid upto 19.01.2009.
As per MPD-2021. The manufacturing of electrical wires and cables (more than 100 workers, 2000 sqm plot is listed in prohibited list of industries). Unit has reported in the present application/ affidavit, the plot area is 1670 sqm and workers in 14 nos.
	 
	Inspection be conducted to know the area of the plot. 
	Inspection be conducted to know the area of the plot w.r.t. the negative list. 

	6
	32201
	17.12.2009
	GOLDEN IRON & STEEL WORKS,
7/19, KIRTI NAGAR INDUSTRIAL AREA
	Operate
	Open forging
	G.W: nil
Trade effluent : nil
D.G. Set: 125 KVA, NMR submitted dated 09.12.09
	Decision on 25.01.2010
Inspection be conducted by SIT.
Decision on 07.05.2010
Put up after inspection by SIT.
	  Various public complaints regarding generation of black thick smoke  and noise  were received.
Application of CTO dated 09.04.07 was refused on 08.06.07( refusal no-1616) based on the findings of inspection conducted  on 31.01.07. 
As per CMC decision dated 07.06.07, on the basis of finding of inspection, closure direction u/s 31(A) of Air Act was issued on 08.06.07.
Temporary revocations direcctions were issued on 10.07.07.
Unit has applied for CTE on 19.05.09 vide I.d No- 29960.
Applied for CTO on 17.12.09 vide I.D no- 32201 and authorisation under HWM.
Trade effluent - 400 ltrs/day.
D.g Set of 125 KVA installed. NMR submitted.
one oil fired furnace is installed. SMR dated 09.12.09 submitted.
Inspection conducted by SIT.


	While categorising the individual units as per orders of Hon,ble Supreme Court in I.A. no 22 of WPC No 4677/1985 in the matter titled M.C. Mehta vs Union of India & Others the CPCB developed following criteria for steel forging units.
(1.) Steel Forging Units (If using power hammer) :-  Hb Heavy noise pollution. 
(2.) Steel Forging unit if using steam hammer:-  F   Light Forging (Less than 4 T capacity).
The unit under consideration was categorised under F category by CPCB as per review report of the technical team of Central Pollution Control Board in pursuance of Hon'ble Supreme court's order dated 24.01.1996.
In year 2008 references have been sent to CPCB vide letter dated 10.11.03 to clarify whether, 4 tons is individual hammer capacity or clubbed capacity of all hammer installed, weight or impact varying with the mechanism of force applied on hammer, and the classification of drop/ pneumatic hammer. CPCB has not responded to these letters.
It is understood that in the process of power hammers, power is used to accelerate the hammers to get more momentum in addition to 
gravity to multiply the impact. Therefore 
all hammers in which any force (by steam or by air) 
is applied in addition to gravity be termed as power hammer. 
MPD 2021 has placed ' Iron/ steel 
metel forging (using pneumatic hammer)' is in negative list 
of industries. Therefore air operated 
hammer not permitted.
	Ask the unit to remove coal fired boiler lying idle and confirm on an affidavit.
	Ask the unit to submit an affidavit that forging is done without using pneumatic hammer which is prohibited as per MPD-2021 and the coal fired boiler will not be used. If unit submits the said affidavit, consent to establish be issued.

	7
	 
	 
	M/s Manish Buildwwell Pvt. Ltd., Sector 12, plot no. 4,5,6, Dwarka
	 
	Construction of shopping complex
	 
	Decision on 07.0.08
Ask the unit to apply for Consent to Establish.CAll on 06.11.08.
Decision on 06.11.08
Issue final reminder. CAll on 17.12.08
Decision on 24.11.2008
There has been palpable error in handling this case by the concerned CMC which is warned not to repeat this in future. MS will personally work on this file and issue a Show Cause Notice for closure based on the deficiencies found by SIT. The notice for closure to be issued immediately without waiting for minutes. Inform the advocate accordingly. Call on 10.12.2008.
  Decision on 11.12.2008
SIT to inspect and report. Call on 23.12.2008
Decision on 23.12.08
SIT inspection report to be shown to advocate for advising regarding prosecution/ closure/ any directio. File be submitted administratively to the Chairman, DPCC by Saturday i.e. 27.12.08
Decision on 16.04.2010
Issue legally vetted SCN based on the findings of inspection.
	Unit has not applied for CTE.
Matter is subjuidice.
                 Findings of Inspection
Strucutral work of this commercial building is complete.
Finishing work is about to complete.
Air pollution was being created from inadequate stack height of 7.5 KVA DG Set during construction of this commercial building. Also noise pollution was being created from 7.5 KVA DG Set without acoustic enclosure.
Ground water was being extracted to meet the requirement of water. No permission from  obtained from CGWA.
Waste water generated during construction phase is discharged in open area, which was creating water pollution as well nuisance in the surrounding area.
No oil and grease trap/ ETP/ STP has been installed in this commercial building . Vacant space of this building can be used for eatry shop.
During inspection, person contacted and other person from M/s Manish Buildwell Pvt. Ltd. had tried to obstruct the functioning of SIT during inpection and also threaten SIT by saying that DPCC has no power to inspect his project site despite copy of notice for inspection signed by the Member Secretary, DPCC.
	 
	File be put up administratively.
	Decision taken on file ratified. Fresh inspection be conducted.

	8
	33239
	 
	Harjee Packaging
D-37, DSIDC, Kirti Nagar
Industrial Area, New Delhi
	 
	Mfg. of Plastic containers (injection moulding)
	G.W: nil
Trade effluent : nil
D.G. Set: nil
Plot area: 188 sqm.
	Decision on 07.05.2010
Issue consent to Establish.
	Applied for CTO on 19.04.07 and also applied for authorisation under plastic rules.
	 
	Since there is a issue pertaining to conformity. The earlier decision of issuing the consent reviewed and same be issued only after taking clarification from DDA.
	Since there is a issue pertaining to conformity. The earlier decision of issuing the consent reviewed and same be issued only after taking clarification from DDA.

	9
	 
	 
	Raj Super Service Station
Ring road, Moti Bagh, 
Delhi
	 
	Filling station cum service station of two wheelers
	1. Comencement-Apr 2010
2. Trade effluent-2500 lt/day, ETP proposed
3. DG-Nil
4. CTO not applied
5. HWM not applied
	Decision on 26.05.2010
Issue consent to establish subsequently, inspection be conducted.
	CTE issued on 29.06.2010 and not applied for operate and authorization under HWM rules.
Unit was inspected by PGRC on 29.06.2010 during the inspection following are observed:
1.)ETP installed was found defunct.
2.)Effluent was being discharge wihtout any treatment.
3.)D.G. set with a coustic enclosure but without acoustic stack height
4.)No provisions for management of hazardous waste.
5.)No dry/wet sludge found at site.
	 
	Issue SCN for refsual of consent.
	Case be considered after implementation of decision of Scrutinizing Committee.


