 Minutes of the 58th meeting of the Committee Constituted for Deciding the Consent under Orange Category, held on 28.5.2008 in the Conference Room of Chairman, DPCC.

   The following persons attended the meeting:

1. Sh. J. K Dadoo, Chairman DPCC

2. Sh. K. Mahesh, Member Secretary, DPCC

3. Sh. S.K.Gupta, Head Chemical Engineering Deptt. ,IIT Delhi 

4. Sh. B. Kumar, SEE, DPCC

5. EEs   CMC – I, II & III.

6. EE and AEEs of PGRC

7. AEEs and JEE of CMC – I, II & III.

Sh. M. Dwarakanath, SSO, Environment Department could not attend the meeting as he was on earned leave. Dr. Chetna, Scientist had attended the meeting in place of Sh. M. Dwarkanath, SSO as she is his link officer and therefore directed by Chairman to take his place till he returns from leave.

Following decisions were taken in the said meeting:- 
Agenda Item No.1-   Shopping Mall cases

The notice for closure (i) Genious Promoters & Developers Pvt Ltd, (BPTP Group), Shop 'N' Park Mall, CBD Ground, Near Karkardooma Court, Delhi-92 (ii) Lifestyle Building Pvt. Ltd. (construction of Commercial Complex at Plot NO 4, Jasola, Delhi (iii) Manish Group , Sec-22 Dwarka , New Delhi  & (iv) Parsvnath Developers Ltd in construction with M/s OCL Ltd Construction of Commercial Complex at Shahdara Metro must be issued by hand by tomorrow. All the cases of notices for closure issued on 28.05.2008 & 29.05.208 will be taken up for follow up action in the CMC on 11.06.2008.

SEE to bring hard copies of all the minutes w.e.f. 23.10. 2007.


Chairman had issued a note on 28.04.2008 enclosing a copy of 18 projects which MOEF was going to consider in its meeting dated 01-03 May, 2008. In all these 18 cases pertaining to Delhi, MS will personally speak and write to Sh. Bharat Bhushan to get the latest updated status and appraise CMC either on 29.05.2008 or 03.06.2008.

The decisions taken with respect to this agenda are tabulated and annexed as Annexure – 1.

Agenda Item No.2-   Construction Projects cases

Only some cases could be discussed in the time available and the decisions taken with respect to this agenda are tabulated and annexed as Annexure – 2.

Agenda Item No.3- Complaint cases of Friends Colony Indl Area


This agenda could not be taken up for discussion by the Committee due to paucity of time. 
Agenda Item No. 4- Cases of Okhla Industrial Area

This agenda could not be taken up for discussion by the Committee due to paucity of time.

Table Agenda Item 1– The case of Gold Souk Mall was brought up in the meeting whereby the letter issued to the mall had been returned back undelivered. The concerned AEE will personally visit and deliver the notice at the site. Call on 11.06.2008.
Table Agenda Item 2: In view of the fact that MS had to appear in the Court in 06 DLF cases which was lumped together and brought to the Hon’ble Court, and in view of the fact that the Court ordered that for each case separate petition may be filed. The Committee deliberated on the matter and decided to examine afresh each of these six cases and passed appropriate orders. The orders passed in each case are as follows:-

a) DLF Retail Developers Ltd. (Construction of Shopping Complex named as DLF South Court  at Plot No A1 & P2B, Saket Place, Saket, New Delhi ) : SIT to inspect & report on 10 conditions and  on Environmental Clearance conditions. Call on 11.06.2008.

b) Paliwal Developers Ltd (DLF), Galleria shopping  Mall Plot no 1 B Mayur Vihar : Over and above the decision of the committee of 23.05.2008 committee felt that SIT should inspect and report to CMC on 25.06.2008. Call on 25.06.2008.

c) Galleria Property Management Services Pvt. Ltd at  DT City Center, Block A, Communtiy Center, Shalimar Bagh, Delhi: This case was discussed as part of the Agenda item No. 1 and is listed at Sl. No. 15 of Annexure – 1 of the minutes.

d) DLF Universal Ltd.  Construction of Commercial Complex name DLF Court Yard at  Plot No. A4 & P-1A,  Saket Place, New Delhi-17: The Committee has decided to take up this case in CMC meeting on 18.6.2008.

e) DLF Ltd., Group Housing Society at E Block, G.K-II: Decision of CMC dated 13.06.2008 will stand.

f) DLF Ltd. , Block W, Greater Kailash, New Delhi: This case was discussed as part of the Agenda item No. 2 and is listed at Sl. No. 2 of Annexure – 2 of the minutes.

Meeting ended with thanks to the Chair.


	S.No
	Name of Agency /Promoter with Location
	Earlier Decisions
	ATR  / REMARKS 
	Decision on 28.5.2008

	1
	Aditya Shopping Mall,
CBD Shahdara, delhi - 92
	Personal hearing accorded on 17.4.2008 and the unit was asked to apply for CTE.
	Unit submitted a letter stating that the directors are out of India and they will be back in the second week May 2008 and the application will be submitted immediately after their return.
No CTE application received so far.
	Issue notice for closure without waiting for minutes. Call on 18.06.2008. 

	2
	Construction of commercial building at Plot No 1, City Centre, Sector-13, Dwarka by M/s Nettles Farms Pvt. Ltd. 
	                             17.04.2008
Issue final letter. Unit has not filed Environmental Clearance and Consent to Establish. Unit may be asked to file the following five things  by 30.04.2008.: 
1. Consent to Establish.
2. Environmental Clearance.
3. Affidavit indicating date of start of construction and completion of construction.
4. Approved architectural drawing.
5. Completion certificate. 
Call for personal hearing on 30.04.2008 at 8.30 PM.
                            30.04.2008
The unit has neither filed Environmental Clearance nor Consent to Establish and other five documents instructed to be filed on 17.04.2008. Also the unit came for personal hearing today as directed. It appears logical that the unit is trying to evade the arms of law. In such a situation CMC cannot wait indefinitely and therefore unanimously feels that the following course of action should be taken:-

(a) Issue notice for closure u/s 31(A) of the Air Act, 1981 & u/s 33(A) of the Water Act, 1974.
(b) SIT may be asked to inspect the premises and report by 14.05.2008.

Call on 14.05.2008.
	Total Built up area : 44005.04 sqm
The unit has not applied for CTE. During the meeting before MOEF on 13.03.2008, the project proponent was asked to stop the construction work, submit an afifdavit with an undertaking not to execute work without obtaining EC and furnish photorgraphs of the site from all four sides.
Inspected by SIT on 05.05.2008.
Notice for closure u/s 31(A) of the Air Act & u/s 33(A) of the Water Act was issued on 09.05.2008 to the unit at Plot No 1 & Plot No 2, Sector-13, Dwarka.
CTE applied for both the plots i.e. Plot No 1 & Plot No 2.
	The unit in its reply claims it had no knowledge of the personal hearing granted to the unit on 30.04.2008.  It also claims that it has applied for Environmental Clearance which will be granted shortly. The unit also states that it has applied for Consent to Establish for both the plots. Beyond this, it has filed no other information which was required vide CMC decision dated 17.04.2008. Unit may be called for final hearing on 18.06.2008 at 6.00 PM along with the following documents:-
1. Affidavit indicating date of start of construction and date of completion. 2. Completion certificate. 3. Approved architectural drawing. 4. details of water drawl. 5. Permission for water drawl. 6. Deatils of  waste water discharge and  7. Details of D.G. Sets.

	3
	TSL Mall /Shopping Mall, Sec-04 Dwarka, New Delhi
	                      11.03.2008
Unit may be asked to apply for Consent to Establish and MS to inspect and report in April, 2008 CMC.
                      17.04.2008
Ask the unit to apply for Consent to Establish by 21.05.2008. Take up on 21.05.2008.
	Letter isued on 30.04.2008.
No reply received.
	As per the inspection report of MS, the built up area is 650 sqm with one bore-well but without any documentary permission from the CGWA. Details w.r.t. waste water discharge & D.G. Set are not available. Issue notice to the unit to provide the same and to file Consent to Establish. Call on 25.06.2008.

	4
	TSL Mall /Shopping Mall, Sec-06 Dwarka, New Delhi
	                      11.03.2008
Unit may be asked to apply for Consent to Establish and MS to inspect and report in April, 2008 CMC.
                      17.04.2008
Ask the unit to apply for Consent to Establish by 21.05.2008. Take up on 21.05.2008.
	Letter isued on 30.04.2008.
No reply received.
	As per the inspection report of MS, the built up area is around 600 sqm and digging one bore-well but without any documentary permission from the CGWA. Details w.r.t. waste water discharge & D.G. Set are not available. Issue notice to the unit to provide the same and to file Consent to Establish. Call on 25.06.2008.

	5
	Pankaj Group, Sec-12 Dwarka, New Delhi
	                              11.03.2008
Issue final letter. Unit has not filed Environmental Clearance and Consent to Establish. Unit may be asked to file the following five things : 
1. Consent to Establish.
2. Environmental Clearance.
3. Affidavit indicating date of start of construction and completion of construction.
4. Approved architectural drawing.
5. Completion certificate.
Case will be taken up in April, 2008 CMC. 
                              17.04.2008
CMC to inspect and report by 21.05.2008. Take up on 21.05.2008.
	Letter issued on 18.03.2008. Unit has submitted a reply on 2.4.2008 stating that area of the land is 135 sq. m and the complex is not a mall.
Inspected. 
	This unit has 3 plots of 135 sqm each of which has a built up area of 531 sqm this makes a total built up area of 1593. As per the inspection report of CMC officials, the built up area is 531 sqm with one bore-well but without any documentary permission from the CGWA,7.5 KVA D.G. Set without acoustic enclosure found. Details w.r.t. waste water discharge is not available. Issue notice to the unit to provide the same and file Consent to Establish. Call on 25.06.2008.
CMC has also reported that there are 04 plots of the same size in the adjoining area which implies the built up area of nearly 2000 sqm. No information on water source, water discharge and D.G. Sets are available. Issue notice by hand to Manish Group at the site to file the above details and application for Consent to Establish. Call on 25.06.2008. 

	6
	Parsvnath Developers proposed construction of shopping mall cum office complex at Connught Place, New Delhi
	Letter issued seeking Consent to Establisha, copy of Environmental Clearance, details of D.G. Sets, built up area & generation of waste water. 
	Notice u/s 25/26 of Water Act and u/s 21/22 of Air Act was isued on 08.05.2008 for CTE.
Reply received, stating that the builtup area is less than 20,000 sqmts.
Willing to apply for CTE once the building plans are sanctioned.
	The unit in its reply has stated that the proposed built up area will be less than 20,000 sqm and it will apply for CTE at the appropriate time. However, press report indicates the total plot area of more than 5,000 sqm and total investment of nearly Rs. 300 crores. The unit may therefore be asked to file the following documents:
1. Affidavit indicating date of start of construction and date of completion. 2. Completion certificate. 3. Approved architectural drawing. 4. details of water drawl. 5. Permission for water drawl. 6. Deatils of  waste water discharge   7. Details of D.G. Sets.8. Plot area. 9. Builtup Area. 10. Application for Consent to Establish. 11.Copy of Environmental Clearance
Call on 03.07.2008.

	7
	 Capitol City Mall, B-1, Paschim Vihar, Delhi.
	Ask him to file Consent to Establish & environmental clearance. Also ask the unit to file an affidavit indicating the date of construction & date of completion.Approved architectural drawing may also be filed by 25.3.2008. Case to be put up on 25.03.2008.
                                03.4.08
Take up on 10.04.2008.
                                17.04.2008
Issue reminder to the unit to file all the documents required vide CMC decision of 03.04.2008. If he fails to file the documents by 30.04.2008, the unit will be proceeded against as per the Environmental Laws of the Land. Reminder should be issued to both the office address and mall address.
                                01.05.2008
Since the unit has not replied to any of the letters issued on the directions of CMC, the unit may be asked to come up on personal hearing on 14.05.2008 at 8.00 PM with all the relevant documents. 
	Personal hearing accorded on 13.05.2008. Unit not attended the personal hearing. SIT was ask to carry out inspection on 14.05.2008. Case was taken up by CMC on 15.05.2008 and decided to issue notice for closure. File is under submision.
	Call on 11.06.2008.

	8
	 Structural Fabricators Pvt Ltd (Anant Raj Agencies P ltd ) Commercial Complex at 67 Najafgarh Road, Kirti Nagar
	                                   11.04.2008
The unit was given personal hearing and he agreed to pay the cash penalty of Rs. 5 lakh. Bank guarantee to be waived off, in case the project proponent files a proof of paying penalty to M.C.D. before 23/04/08. If the unit does so, then ‘Consent to Establish’ to be granted with a copy to Additional Secretary, MOE&F.
                                    17.04.2008

 Call on 23.04.2008.
BG submitted. Accordingly, Consent to Establish issued.
	CTE issued.
EC from MOEF awaited.
	Call on 03.07.2008 for submission of a copy of Environmental Clearance. 

	9
	Mamram Magic Mall , Plot no 4, CS/0CF Sec-24 Ph-III Rohini, New Delhi-85
	                      11.03.2008
MS to inspect and report in April, 2008. 
                        13.5.2008
Personal hearing accorded and the unit was aske to submit BG of Rs. 5 lakhs by 28.5.08
	BG for Rs. 5 lakhs submitted.
CTE issued as decided by CMC.
	No action.

	 
	Aggarwal Plaza (P) Ltd., Plot no 29 & 31, CBD Shahdara Commercial Complex, Shahdara, Delhi
	NIL
       17.04.2008
Call on 14.05.2008. Also check if any adverse order was issued by MOEF.
                   21.5.08
Letter seeking application for CTE and a copy of EC be issued and delivered by hand.
	Letter issued on 24.5.08 by post.
Staff went to the site to hand deliver the same and the unit refused to take and did not allow the letter to be pasted.
Earlier, the information is received from the MoEF regarding this unit.
	The total built up area proposed is 31,000 sqm and the unit has applied for Environmental Clearance and has the temerity to ask MOEF to postpone Environmental Clearance hearing while he continues to construct. Unit has not applied for Consent to Establish. Let SIT to do an inspection and submit a report before CMC on 11.06.2008. Call on 11.06.2008.

	10
	P.S.K. Distrcit Centre, Laxmi Nagar, Vikas Marg, Delhi, DSIDC Govt of NCT of Delhi
	                           11.03.2008
The unit appears to be a club with dining facilities. The unit may be asked to clarify whether they have installed ETP / STP. The unit may also be asked to clarify whether they have adequate stack height and acoustic enclosures with two D.G. Sets. 
                            11.04.2008
Time allowed till end May, 2008 to install ETP. 
	Letter issued on 21.04.2008.
Reply awaited.
	The unit must file the ETP report and noise monitoring report latest by 18.06.2008. Call on 18.06.2008.

	11
	Cross River Mall, 9B & 9 C, Central Business Shahdara, New Delhi-95
	                                     10.03.2008
The unit claims it is not covered by the 2004 notification, but have not adduced any proof of such exemption. The unit may therefore be asked to file an affidavit adducing proof of his assertion.

The unit started construction in 2004 and did not bother to apply for CTE till 07.01.2008. In the same affidavit unit may be asked to explain how and why he has failed to file the CTE application. Let the unit be given an opportunity of being heard on 25.03.2008 at 6.00 PM and the unit may be directed to file the above affidavit before that day. 
                                     03.04.2008
The unit may be asked to file an affidavit with concrete proof that it had come upto the plinth level on 07.07.2004 and therefore was not hit by the notification of MOEF dated 07.07.2004 regarding EIA. 

MS may separately check with DDA the basis of the compounding fee to ascertain the extent of construction which corresponds to the compounding fee of Rs. 1.17 Lakh. Based on these documents and findings, a decision will be taken about this case in the CMC on 23.04.2008.
                                      11.04.2008
Call on 23.04.2008 with response of our notice.
                                     01.05.2008
Reminder may be issued to DDA for their response. Consent to Establish has been applied and the waste water discharge is 71 KLD and 4 D.G. Sets are installed with capacity of 750 KVA. Call on 03.06.2008 with test reports of D.G. Sets.
 
	Letter issued to the unit and DDA on 09.05.2008.
Reply awaited.
	The unit has asked for 10 days time to submit noise monitoring reports of D.G. Sets. In the meantime the DDA report may also be pursued. Call on 18.06.2008.

	12
	Gahoi Build Well Ltd Proposed Commercial Complex name East Centre Mall at Plot no 10 Laxmi Nagar District Centre
	                           10.03.2008
Ask him to file Consent to Establish & environmental clearance. Case to be put up on 25.03.2008. Issue fresh letter.Affidavit for date of construction and completion, architectural drawing & completion certificate if received may be filed.
                      03.4.2008
Unit be inspected by CMC and put up on 10.4.2008.
                            11.04.2008
SIT will inspect and report by 30.04.2008.
                              01.05.2008
The SIT report clarifies that the built up area is about 5000 sqm and therefore does not require Environmental Clearance. However, the unit has applied for Consent to Establish and SIT report talks about three D.G. Sets with proper stack height and inbuilt acoustic enclosure. However, SIT is silent on waste water discharge. The Consent to Establish application shows waste water discharge of 70 KLD. 

In view of the above let the unit file an adequacy report and payment of water cess details. Call on 03.06.2008. 
	Letter isued on 09.05.2008
Reply awaited.
	Since water source & waste water discharge details are not available. Unit may be asked to file these along with the adequacy report and payment of water cess. Issue notice without waiting for minutes. Call on 03.06.2008.

	13
	Parsvnath Developers Ltd in construction with M/s OCL Ltd Commercial Complex at Pratap Nagar Metro
	                           11.03.2008
Last and final reminder  asking them to file Consent to Establish & environmental clearance. Also ask the unit to file an affidavit indicating the date of construction & date of completion. Unit will also file approved architectural drawing. Take up on 25.3.08.
                           03.04.2008
Concerned CMC to inspect and report factually on 10.04.2008.
                            11.04.2008
SIT will inspect and report by 30.04.2008.
                             01.05.2008
SIT inspection confirms the claim of the unit that Environmental Clearance is not required. However, two D.G Sets were found in operational and Consent to Establish application indicates waste water generation to the tune of approximately 7.5 KLD. Let the unit file the noise monitoring report of D.G. Sets. Call on 03.06.2008. 
	Letter isued on 09.05.2008
Reply awaited.
	Call on 03.06.2008.

	14
	Omaxe Construction Ltd. at Netaji Subhash Place, New Delhi
	                            11.03.2008
Consent to Establish and Environmental Clearance filed. Date of completion mentioned in the Consent to Establish is 2007. Unit may be asked to file an affidavit indicating item-wise compliance of Environmental Clearance conditions in the construction phase and the operation phase. Take up in CMC in April, 2008.Affidavit for date of construction and completion, architectural drawing  may  be filed by April CMC
                             11.04.2008
The unit has not filed a clear affidavit indicating item-wise conditions of construction phase mentioned in the Environmental Clearance. Reminder may be issued to the unit to do so by 30.04.2008. 
                             01.05.2008
Call for Personal hearing on 14.05.2008 at 7.00 PM. 
	Personal hearing accorded on 13.05.2008. Unit not attended the personal hearing. SIT was ask to carry out inspection on 14.05.2008. Case was taken up by CMC on 15.05.2008 and decided to issue notice for closure. 
Notice issued on 26.5.08
	Call on 11.06.2008.

	15
	Galleria Property Management Services Pvt. Ltd at  DT City Center, Block A, Communtiy Center, Shalimar Bagh, Delhi
	                         11.03.2008
The unit has applied for Consent to Establish and has also filed Environmental Clearance dated 15.01.2007. However, the construction of the said mall must have started before Environmental Clearance was given. He may  therefore be asked to file  an affidavit indicating the date of start of construction of mall and copy of architectural drawing along with date of approval of architectural drawing and he will be given personal hearing in April, 2008 CMC to decide the case. 
                          11.04.2008
Call for personal hearing on 30.04.2008 at 5.30 PM.
                          30.04.2008
The unit was asked to file an affidavit indicating the date of start of construction which has not been done. Issue a final reminder for the same, failing which CMC will pass appropriate orders. The unit was given personal hearing time today but it failed to turn up. CMC is under no obligation to give the unit any further opportunity for personal hearing. 
	Letter isued on 09.05.2008
Reply awaited.
	Since the unit has not furnished the required details asked by DPCC, SIT to inspect on 29.05.2008 and submit report to MS by evening for necessary action to be decided in CMC on 29.05.2008.

	16
	Jaksons  Buildwell Private Ltd, Construcion of Commercial Mall name V3S Ring Road Mall at Plot no 21 Manglam Place,  Sec-03, Rohini, New Delhi
	                          11.03.2008
Unit has filed Consent to Establish on 23.10.2007 & obtained EC on 29.02.2008. Website reveals that MOEF has directed the unit to stop construction. It is obvious that the unit has started construction much before Consent to Establish & EC. Unit may be asked to file an affidavit indicating start of construction, likely date of completion of construction and approved architectural drawing and item-wise compliance of conditions laid down in Environmental Clearance. Case to be taken up in April, 2008. 
                             03.04.2008
Personal hearing accorded unit was asked to submit penalty & BG by 10.04.2008.
                             11.04.2008
No action.
	CTE issued.
	No action.

	17
	Y.M.C Buildmore pvt ltd construction of Commercial Complex at plot no 12 Laxmi nagar Distt Centre (V3S Mall)
	                            10.03.2008
Since an attested copy has been received from the MOEF saying action may be taken, this is a development over and above the Committee meeting decision on 05.02.2008. Like other cases an opportunity of being heard may be given to the unit on 25.03.2008 at 5.00 PM.
                              28.03.2008
Letter be issued seeking penalty and BG as was done in the first case i.e. M/s Splendor Forum.
                               11.04.2008
15 days elapsing on 19.04.2008. Take up on 23.04.2008.
                               17.04.2008
A letter was received from M/s Y.M.C. Buildmore Pvt. Ltd. that he has filed a cash penalty of Rs. 80 Lakh and Bank Guarantee of Rs. 80 Lakh and despite clear order of CMC dated 28.03.2008, the Consent to Establish has not been issued by the concerned EE for which his written explanation may be submitted on file by MS on 21.04.2008. If the reply is not found satisfactory, an entry will be made in his ACR.

For not violating the CMC decisions, MS must once again issue a clear circular to all members of CMC. 

In this case, EE will call the unit on 18.04.2008 and issue the Consent to Establish 
without fail and confirm the same on file.

Cash penalty & BG submitted. Accordinlgy, consent issued on 18.04.2008.
	CTE issued.
	No action.

	18
	Upaj Buildcon Pvt Ltd Construction of Parking and Commercial Building at Sec-10 Rohini
	                         11.03.2008
The unit applied for Consent to Establish and also filed Environmental Clearance. Further, MOEF has directed action against the unit for completing construction before Environmental Clearance was granted.  An opportunity of being heard may be given to the unit on 25.03.2008 at 7.00 PM. Issue letter immediately without waiting for the minutes. 
                         03.04.2008
Issue CTE if  the unit submits a BG of Rs. Twenty Five Lakhs at tahe same time.
                          11.04.2008
Complied. Consent to Establish issued.
	CTE issued.
	No action.

	19
	Amazing Realtors Ltd (Office Complex & Shopping Mall Namely Splendor Forum)Plot no -3, DDA District Centre, Jasola
	                  11.03.2008
No action as of now.
                   17.04.2008
Matter is under consultation at the highest levels.
	File is under submission.
	Move application through Sh. Prem Kumar, Advocate in the Supreme Court for enforcing the DPCC order and getting Delhi High Court order vacated.  Call on 03.07.2008.

	20
	Metropolitan Mall (MGF developments Ltd.) at  Plot No. A-2 & P1B, District Center, Saket, Delhi
	                           11.03.2008
Unit has applied for Consent to Establish on 21.10.2005 and obtained Environmental Clearance on 15.05.2007.  The unit may be asked to file an affidavit indicating item-wise compliance of all Environmental Clearance conditions in the construction and operation phase, date of start of construction and date of completion, copy of approved architectural drawing and copy of completion certificate may also be filed. In view of the DPCC inspection report dated 19.09.2006, which found construction well before Environmental Clearance was granted, case to come up in CMC April, 2008 when he will be given an opportunity of being heard also.
                           17.04.2008
Call for personal hearing on 30.04.2008 at 8.00 PM.
                            30.04.2008
The unit was given a personal hearing and it was found that they were not prepared with the factual information sought in the meeting. In view of the above, on their request, the personal hearing is re-scheduled for 6.30 PM on 01.05.2008.
                            01.05.2008
The unit came to personal hearing on 30.04.2008 but failed to do so today. MS to draft a letter asking them for a proof of total cost of the project with separate figures of cost of land and cost of construction. Call them for personal hearing with these details on 14.05.2008.
	Case discussed on 13.05.2008. Minutes awaited.
	The unit has filed two letters. One on 14.05.2008 where it is willing to pay the penalty at a “bare minimum percentage”. In another letter dated 23.05.2008, the unit stated that it has taken necessary steps to abide by the law. Finally, it is again reiterating that it is willing to pay the penalty and the Bank Guarantee at a “very bare minimum percentage”.
In view of the above, the unit may be given a personal hearing on 11.06.2008 at 7.00 PM. 

	21
	Vardhman Group, Sec-7 Dwarka, New Delhi
	                          11.03.2008
Ask him to apply fresh Consent to Establish on the ground that a mall would generate effluent and huge D.G. Set which pollutes the air & create noise. Also ask him to file an affdaivt indicating date of start of construction & date of completion of construction, approved architectural drawing and completion certficate. Case will be taken up in April, 2008.
                         17.04.2008
File being studied administratively for appropriate action on the court case. 
	Unit filed write before Hon'ble High Court. Case is being dealt by Legal Cell.
	Call on 29.05.2008.

	22
	Vardhman Group, Sec-19 Dwarka, New Delhi
	                          11.03.2008
Ask him to apply fresh Consent to Establish on the ground that a mall would generate effluent and huge D.G. Set which pollutes the air & create noise. Also ask him to file an affdaivt indicating date of start of construction & date of completion of construction, approved architectural drawing and completion certficate. Case will be taken up in April, 2008.
                           17.04.2008
File being studied administratively for appropriate action on the court case. 
	Unit filed write before Hon'ble High Court. Case is being dealt by Legal Cell.
	Call on 29.05.2008.

	23
	Vardhman Group, Sec-23 Dwarka, New Delhi
	                          11.03.2008
Ask him to apply fresh Consent to Establish on the ground that a mall would generate effluent and huge D.G. Set which pollutes the air & create noise. Also ask him to file an affdaivt indicating date of start of construction & date of completion of construction, approved architectural drawing and completion certficate. Case will be taken up in April, 2008.
                          17.04.2008
File being studied administratively for appropriate action on the court case. 
	Unit filed write before Hon'ble High Court. Case is being dealt by Legal Cell.
	Call on 29.05.2008.

	24
	Ambience Developer Pvt. Ltd, Plot No. 2, Vasant Kunj Mall, Vasant Kunj
	                             11.03.2008
Unit has applied for Consent to Establish on 12.05.2006 and Environmental Clearance granted on 27.11.2006. Compliance conditions not given itemwise. Ask him fresh affidavit indicating date of start of construction & date of completion, item-wise compliance of Environmental Clearance conditions and approved architectural drawing and completion certificate. Case will be taken up in April, 2008 CMC. 
                             17.04.2008
This case file will be shown to Chairman administratively on 21.04.2008.
	Case is being dealt by PGRC.
	Ask SIT to inspect and submit a comprehensive report by 11.06.2008. Call on 11.06.2008.

	25
	Select City Walk (Shopping Mall) at Plot No. A-3 & P-1B, District Center, Saket, Delhi by Galleria Properties Management Services Pvt Ltd
	                          11.03.2008
In this case, the unit was given Environmental Clearance on 14.02.2007 but DPCC was directed by MOEF to take legal action against the unit for starting construction before obtaining Environmental Clearance dated 14.02.2007. Unit has also filed an affidavit which does not give an item-wise compliance of all the Environmental Clearance conditions.

The unit may, therefore, be asked to file an affidavit indicating item-wise compliance of all Environmental Clearance conditions in the construction and operation phase, date of start of construction and date of  completion. Copy of approved architectural drawing and copy of completion certificate may also be filed, case to come up in CMC April, 2008 when he will be given an opportunity of being heard also. 
                         17.04.2008
Call for personal hearing on 30.04.2008 at 7.30 PM.
                          30.04.2008
The unit came for personal hearing with an advocate. Since, this is a personal hearing given to the unit, no advocates / consultants have been allowed in such hearings in CMC. Therefore, the advocate was asked to leave and the proceedings were taken up. The unit was found to be violating 
the environmental laws and the letter has been issued by MoEF to Chairman, DPCC on 14.03.2007 to initiate legal action 
against the unit under the provisions of EPA. In the personal hearing today, the unit was apprised of this letter and was given 
an opportunity of hearing. The unit represented by Sh. Sanjeev Manchanda, General Manger, Finance stated 
that they have been trying to comply with all the environmental legislations and that the Ministry’s regional office has been inspecting their premises. 
The unit also represented that the violation of environmental legislations may be condoned.
In view of the clear letter of legal action written by the MOEF in March, 2007, for which a clarification 
was sought by the DPCC in May, 2007, which was not replied by the MOEF so far clearly establishes 
that the original order of the Ministry stands. 
In view of the above, legal action against the unit may be initiated. The draft prosecution order may be shown to the Chairman on 02.05.2008 before issue. 
Despite repeated reminders/ cautioning and clear directions, Chairman found important matters which have a bearing on the entire functioning 
of DPCC have not been shown administratively on file to him.  Explanation of concerned EE (CMC) be sought with in 48 hours 
by MS and put up. 
                            
	Prosecution filed. Next DOH 28.07.2008.
	Brief CMC in the last week of July meeting of CMC. 

	26
	DLF Universal Ltd.  Construction of Commercial Complex name DLF Court Yard at  Plot No. A4 & P-1A,  Saket Place, New Delhi-17
	                        11.03.2008
Unit has applied for Consent to Establish on 25.09.2007 and Environmental granted on 15.01.2007. It is obvious that he started the construction before the Environmental Clearance. He has filed an affidavit indicating item-wise compliance the Environmental Clearance conditions. He may be asked an affidavit indicating date of start of construction and date of completion and architectural drawing and compliance certificate. DPCC inspection indicating start of construction much before the Environmental Clearance. Unit may be given an opportunity of being heard in 25.03.2008 at 6.30 PM. 
                        17.04.2008
Take up on 23.04.2008.
	Unit filed write before Hon'ble High Court. Case is being dealt by Legal Cell.
	Call on 18.06.2008.

	27
	Parvsanath Developers Ltd Commercial Project At Welcome Metro Station
	                          11.03.2008
Unit has applied for Consent to Establish on 09.04.2007. Website of MOEFindicates that MOEF has directed stoppage of construction. Let the unit file an affidavit indicating date of start of construction and completion of construction, approved architectural drawing and completion certificate. Case will be taken up in April, 2008 CMC.
                            17.04.2008
 Call on 23.04.2008.
                            23.04.2008
The representative of Parvsanath Developers Ltd also raised the issue of payment of cash penalty and BG for Commercial Project at Welcome Metro Station and the unit has given a letter saying that they have erroneously given a figure of 40 % of construction last time on 11.4.2008. The actual construction is only about 20 %. The unit however has no document to substantiate its claim. The unit is allowed time to file an appropriate clear & correct document along with the photographs by 30.04.2008. Case to come up on 30.04.2008.
                             30.04.2008
The unit was asked in the last CMC meeting to submit documentary proof of extent of construction. Instead of that unit has filed a certificate from Charted Accountant stating that Rs. 14.6 Crores worth of expenditure has been incurred. CMC cannot decide and give relief on account of expenditure incurred when the unit had clearly admitted that 40 % of the construction has been completed. 

In view of the above, the earlier order of CMC dated 11.04.2008 is reiterated and the formal letter may be issued to the unit by tomorrow without waiting for the minutes for compliance by 14.05.2008.   Consent to Establish was issued to unit on 15.05.08.
	CTE issued.
	The unit has been issued CTE on the basis of the CMC decision of 30.04.2008 wherein it was decided that CTE will be issued to the unit if it pays the cash penalty & Bank Guarantee. This has been done and CTE was issued. Unit be asked to file compliance of Environmental Clearance conditions through an affidavit by 01.07.2008 & 01.01.2009. Call on 03.07.2008.

	28
	Shantiniketan Buildwell Ltd. (Proposed Office Cum Commercial cum Complex At Plot D-3, P-3, B , Saket)
	                         11.03.2008
Since an attested copy has been received from the MOEF saying action may be taken, this is a development over and above the committee meeting decision on 30.01.2008. Like other cases an opportunity of being heard may be given to the unit on 25.03.2008 at 7.30 PM. He may be asked to bring approved architectural drawing & completion certifciate. 
                         17.04.2008
No action.
	CTE issued.
	No action.

	29
	Amazon Enterprises, Plot No 1, Community Centre, Alaknanda, New Delhi
	_
	Letter for EC & CTE has been issued.
	SIT to inspect and report by 11.06.2008. Call on 11.06.2008.

	30
	Construcion of Commercial Complex cum-multi level parking at plot no 13, Jasola, New Delhi
	_
	Letter for EC & CTE has been issued.
	SIT to inspect and report by 11.06.2008. Call on 11.06.2008.

	31
	TR Sawhney Heritage Mall,
Commercial Complex
Opp Heritage School,
Sector - 23, Rohini, 
Delhi - 85
	Nil
	As directed by Chairman, after his inspection, notice issued seeking CTE and EC on 21.5.2008.
Unit applied for CTE on 21.5.08.
Waste water discharge  - 1 KLD
DG set  -   125 KVA
Date of completion  -  Dec 2008
Builtup area  - 1190 sqmts
	The built up area is 1190 sqm and the unit is drawing 8 KLD of water from the ground without permission from CGWA. The unit is also discharging 3 KLD of water with only an oil & grease trap. The unit has also one DG. Set of 125 KVA of which details have not been provided. Unit may be asked to file permission from CGWA for drawing ground water, waste water treatment details and D.G. Sets details. Call on 18.06.2008.

	32
	Shopping Mall at Community Centre, Sec - 22, Near Mahraja Agrasen Institute, Rohini, Delhi - 85
	Nil
	As directed by Chairman, after his inspection, notice issued seeking CTE and EC on 21.5.2008.
	Call on 03.06.2008.

	33
	West End Mall, Janak puri Disrict Centre, New Delhi
	                          10.3.2008
Notice of environmental clearance may be issued immediately and this case will be taken up on 25.03.2008 for confirmation of Consent to Estabish & environmental clearance. Affidavit for date of construction and completion & architectural drawing may also be asked by 25.3.08.
                           03.4.08
Take up on 10.04.2008. 
                           17.4.2008
Since unit has not responded for Consent to Establish and Environmental Clearance, MS to inspect and report on 30.04.2008.
                            01.05.2008 
The inspection of the unit by MS indicates following:
(a) Consent to Establish not applied.
(b) Claims Environmental Clearance not required as built up area without basements is 15000 sqm. For a plot size of 5507 sqm. 
(c) Total cost of the project is Rs. 45 crores.
(d) ETP with 35 KLD capacity installed.
(e) Three D.G. Sets proposed to be installed. 
(f) There are nine food courts sanctioned in the plan and the construction is over.
In view of the above, and complete violations of both Consent to Establish & Environmental Clearance, notice u/s 31(A) of the Air Act and u/s 33(A) of the Water Act for closure of the 
unit may be issued immediately bringing out all the deficiencies noted by MS during inspection. 
A copy of the letter may be sent to Addl. Secretary, MOEF, Director, BSES, 
CEO, DJB & Commissioner, MCD. 
This notice must be issued positively by 05.05.2008. 
To be drafted and signed by MS. 
                        21.5.08
Call on 28.05.2008 with full details.
	Unit has failed to submit any response. No adverse comments from MOE&F is available on net
Inspection to be carried out by MS.
As decided SCN issued on 07.05.2008.
No reply received.
	The unit has not filed any reply to the SCN for closure. This is a first case where the unit appears to be defiant. The EE concerned confirms that notice was validly served to the unit. In view of the above, MS is authorized to speak to the senior official in the unit and ask him to either file his reply by 29.05.2008 or appear before the Committee on 29.05.2008 failing which the unit will be effectively closed through SDM. 

	 
	 
	 
	 
	 

	1
	PVR Naraina, Naraina, Delhi
	                                            01.05.2008
A letter from Ex. Engineer (Karol Bagh Zone), MCD indicated that PVR Naraina was a shopping mall in Naraina Indl Area. Since there are other PVRs also, MS may issue a letter to PVR head office asking the following:
(a) Built up area.
(b) Waste water discharge & water drawl source.
(c) D.G. Sets with stack height with acoustic enclosure.
	Letter issued.
Reply awaited.
	No reply has been received from the unit. The Committee felt that in view of the large sewage discharge and the waste water discharge from numerous restaurants, MS may once again write to CMD, PVR to provide the required information for all the PVRs in Delhi. Call on 25.06.2008.

	2
	Vishal Retail Ltd.,  1/1 Tilak Nagar, New Delhi
	                                        01.05.2008
Issue a letter to Vishal Retail Ltd. to file a noise monitoring reports for all D.G. Sets and along with existence of acoustic enclosures and stack height in affidavit form. Call on 03.06.2008.
	Letter issued.
Reply received. File under submision.
	Unit had replied giving details of acoustic enclosure of the D.G. Sets, but no information on the stack height has been provided. It had also been silent on waste water discharge figures. Accordingly, MS has been directed administratively to ask for these two details for all the 14 malls of Vishal. This letter has gone on 27.05.2008 and therefore the case may be called on 18.06.2008.

	3
	Vishal Retail Ltd.,  156 out of Khadra No. 83/14, Village Hastsal, Colony G-1 Block, Uttam Nagar, New Delhi
	                                        01.05.2008
Issue a letter to Vishal Retail Ltd. to file a noise monitoring reports for all D.G. Sets and along with existence of acoustic enclosures and stack height in affidavit form. Call on 03.06.2008.
	Letter issued.
Reply received. File under submision.
	Unit had replied giving details of acoustic enclosure of the D.G. Sets, but no information on the stack height has been provided. It had also been silent on waste water discharge figures. Accordingly, MS has been directed administratively to ask for these two details for all the 14 malls of Vishal. This letter has gone on 27.05.2008 and therefore the case may be called on 18.06.2008.

	4
	Vishal Retail Ltd.,  Palmohan Plaza-39, Block- A,2 Rajouri Garden, New Delhi
	                                        01.05.2008
Issue a letter to Vishal Retail Ltd. to file a noise monitoring reports for all D.G. Sets and along with existence of acoustic enclosures and stack height in affidavit form. Call on 03.06.2008.
	Letter issued.
Reply received. File under submision.
	Unit had replied giving details of acoustic enclosure of the D.G. Sets, but no information on the stack height has been provided. It had also been silent on waste water discharge figures. Accordingly, MS has been directed administratively to ask for these two details for all the 14 malls of Vishal. This letter has gone on 27.05.2008 and therefore the case may be called on 18.06.2008.

	5
	Vishal Retail Ltd.,  B-374, Meera Bagh, Paschim Vihar, New Delhi
	                                        01.05.2008
Issue a letter to Vishal Retail Ltd. to file a noise monitoring reports for all D.G. Sets and along with existence of acoustic enclosures and stack height in affidavit form. Call on 03.06.2008.
	Letter issued.
Reply received. File under submision.
	Unit had replied giving details of acoustic enclosure of the D.G. Sets, but no information on the stack height has been provided. It had also been silent on waste water discharge figures. Accordingly, MS has been directed administratively to ask for these two details for all the 14 malls of Vishal. This letter has gone on 27.05.2008 and therefore the case may be called on 18.06.2008.

	6
	Vishal Retail Ltd.,  2, Road No. 85, Club Road, Punjabi Bagh(W), New Delhi
	                                        01.05.2008
Issue a letter to Vishal Retail Ltd. to file a noise monitoring reports for all D.G. Sets and along with existence of acoustic enclosures and stack height in affidavit form. Call on 03.06.2008.
	Letter issued.
Reply received. File under submision.
	Unit had replied giving details of acoustic enclosure of the D.G. Sets, but no information on the stack height has been provided. It had also been silent on waste water discharge figures. Accordingly, MS has been directed administratively to ask for these two details for all the 14 malls of Vishal. This letter has gone on 27.05.2008 and therefore the case may be called on 18.06.2008.

	7
	Vishal Retail Ltd.,  10209/10210, Padam Singh Road, karol Bagh, Delhi
	                                        01.05.2008
Issue a letter to Vishal Retail Ltd. to file a noise monitoring reports for all D.G. Sets and along with existence of acoustic enclosures and stack height in affidavit form. Call on 03.06.2008.
	Letter issued.
Reply received. File under submision.
	Unit had replied giving details of acoustic enclosure of the D.G. Sets, but no information on the stack height has been provided. It had also been silent on waste water discharge figures. Accordingly, MS has been directed administratively to ask for these two details for all the 14 malls of Vishal. This letter has gone on 27.05.2008 and therefore the case may be called on 18.06.2008.

	8
	Vishal Retail Ltd., A Block, plot no.1, Ground Floor, Ph-2, Opp. Satyawati College, Ashok Vihar, New Delhi
	                                        01.05.2008
Issue a letter to Vishal Retail Ltd. to file a noise monitoring reports for all D.G. Sets and along with existence of acoustic enclosures and stack height in affidavit form. Call on 03.06.2008.
	Letter issued.
Reply received. File under submision.
	Unit had replied giving details of acoustic enclosure of the D.G. Sets, but no information on the stack height has been provided. It had also been silent on waste water discharge figures. Accordingly, MS has been directed administratively to ask for these two details for all the 14 malls of Vishal. This letter has gone on 27.05.2008 and therefore the case may be called on 18.06.2008.

	9
	Vishal Retail Ltd.,  E-6 Outer Ring Road, Prashant Vihar, New Delhi
	                                        01.05.2008
Issue a letter to Vishal Retail Ltd. to file a noise monitoring reports for all D.G. Sets and along with existence of acoustic enclosures and stack height in affidavit form. Call on 03.06.2008.
	Letter issued.
Reply received. File under submision.
	Unit had replied giving details of acoustic enclosure of the D.G. Sets, but no information on the stack height has been provided. It had also been silent on waste water discharge figures. Accordingly, MS has been directed administratively to ask for these two details for all the 14 malls of Vishal. This letter has gone on 27.05.2008 and therefore the case may be called on 18.06.2008.

	10
	Vishal Retail Ltd.,  D-2/21 Krishna Nagar, Delhi
	                                        01.05.2008
Issue a letter to Vishal Retail Ltd. to file a noise monitoring reports for all D.G. Sets and along with existence of acoustic enclosures and stack height in affidavit form. Call on 03.06.2008.
	Letter issued.
Reply received. File under submision.
	Unit had replied giving details of acoustic enclosure of the D.G. Sets, but no information on the stack height has been provided. It had also been silent on waste water discharge figures. Accordingly, MS has been directed administratively to ask for these two details for all the 14 malls of Vishal. This letter has gone on 27.05.2008 and therefore the case may be called on 18.06.2008.

	11
	Vishal Retail Ltd.,  E-367, Nirman Vihar, Vikas Marg, New Delhi-92
	                                        01.05.2008
Issue a letter to Vishal Retail Ltd. to file a noise monitoring reports for all D.G. Sets and along with existence of acoustic enclosures and stack height in affidavit form. Call on 03.06.2008.
	Letter issued.
Reply received. File under submision.
	Unit had replied giving details of acoustic enclosure of the D.G. Sets, but no information on the stack height has been provided. It had also been silent on waste water discharge figures. Accordingly, MS has been directed administratively to ask for these two details for all the 14 malls of Vishal. This letter has gone on 27.05.2008 and therefore the case may be called on 18.06.2008.

	12
	Vishal Retail Ltd.,  FD-7 Pitampura, New Delhi
	                                        01.05.2008
Issue a letter to Vishal Retail Ltd. to file a noise monitoring reports for all D.G. Sets and along with existence of acoustic enclosures and stack height in affidavit form. Call on 03.06.2008.
	Letter issued.
Reply received. File under submision.
	Unit had replied giving details of acoustic enclosure of the D.G. Sets, but no information on the stack height has been provided. It had also been silent on waste water discharge figures. Accordingly, MS has been directed administratively to ask for these two details for all the 14 malls of Vishal. This letter has gone on 27.05.2008 and therefore the case may be called on 18.06.2008.

	13
	Vishal Retail Ltd.,  RZ-6, Part of Rect No 19 Killa No. 1/2/1, 10, 1/2/2 Rect No. 18 Killa No. 7/3, 5/2 & 6, Laxmi Garden, Village Nazafgarh.
	                                        01.05.2008
Issue a letter to Vishal Retail Ltd. to file a noise monitoring reports for all D.G. Sets and along with existence of acoustic enclosures and stack height in affidavit form. Call on 03.06.2008.
	Letter issued.
Reply received. File under submision.
	Unit had replied giving details of acoustic enclosure of the D.G. Sets, but no information on the stack height has been provided. It had also been silent on waste water discharge figures. Accordingly, MS has been directed administratively to ask for these two details for all the 14 malls of Vishal. This letter has gone on 27.05.2008 and therefore the case may be called on 18.06.2008.

	14
	Vishal Retail Ltd.,  Mahipalpur Crossing Near Bikaner Sweets Mahipalpur, New Delhi
	                                        01.05.2008
Issue a letter to Vishal Retail Ltd. to file a noise monitoring reports for all D.G. Sets and along with existence of acoustic enclosures and stack height in affidavit form. Call on 03.06.2008.
	Letter issued.
Reply received. File under submision.
	Unit had replied giving details of acoustic enclosure of the D.G. Sets, but no information on the stack height has been provided. It had also been silent on waste water discharge figures. Accordingly, MS has been directed administratively to ask for these two details for all the 14 malls of Vishal. This letter has gone on 27.05.2008 and therefore the case may be called on 18.06.2008.

	15
	Vishal Retail Ltd.,  A-18, B Block, Mihan Co-Operative Society, Mathura Road, New Delhi
	                                        01.05.2008
Issue a letter to Vishal Retail Ltd. to file a noise monitoring reports for all D.G. Sets and along with existence of acoustic enclosures and stack height in affidavit form. Call on 03.06.2008.
	Letter issued.
Reply received. File under submision.
	Unit had replied giving details of acoustic enclosure of the D.G. Sets, but no information on the stack height has been provided. It had also been silent on waste water discharge figures. Accordingly, MS has been directed administratively to ask for these two details for all the 14 malls of Vishal. This letter has gone on 27.05.2008 and therefore the case may be called on 18.06.2008.
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	1
	 
	 
	Purearth Infrastructure Ltd
20, Manohar lal Khurana Marg,
New Delhi - 6
	17.3.2008
Inspection be carried out to know the construction status apart from the status of application for CTE and EC.
23.4.08
Issue notice u/s 31(A) of the Air Act, 1981 & 33(A) of the Water Act, 1974 as to why construction should not be stopped since there is no Environmental Clearance and Consent to Establish. Copy to Addl. Secretary, MOEF to take action as per EPA, 1986. Notice may be issued without waiting for minutes.Call on 21.5.2008.
                       21.05.2008
The unit was called for personal hearing today. The unit is willing to comply with all Environmental Legislation and abide by all directions of DPCC. The unit has also applied for Consent to Establish and Environmental Clearance separately. Unit has furnished information that there are four adjacent plots with the total built up area of about 1.5 lakh sqm. Construction in three of these has been started and total construction so far done is about 25 % of the planned built up area. Unit has been asked to file details of each of the four plots in terms of construction done, 
construction planned, expenditure incurred 
& expenditure planned. The unit may also 
confirm whether all the four plots will have 
only flatted factories or any residential 
premises also. 
	Premises inspected by CMC officials on 20.3.2008 and found that the project proponent is engaged in the construction of Flatted Factory Complex and 70% of the construction has been completed .It was learnt that they have not obtained any EC and not applied for CTE.
The built up area is more than 20, 000 sq. mts.As decided by Chairman DPCC an opportunity of personal hearing has been fixed for 21-05-08.
	(i) The unit has not replied to the point whether only flatted factory will be built or residential / commercial complex will also be built. Issue notice to the unit to confirm the same. (ii) Unit has shown 40 % completion in Plaza-I, 10 % in Plaza-2, 60 % in Plaza-3 and no construction in Plaza-4. The Committee of the view that the unit should not undertake any construction in Plaza-4 till Environmental Clearance is obtained. 

The Committee after deliberation has decided to call the unit for personal hearing on 18.06.2008 at 6.30 PM for further course of action. 

	2
	20809
	08.03.2007
	DLF Ltd. , Block W, Greater Kailash, New Delhi
	           17.3.2008
Unit be asked to submit an affidavit indicating date of start of construction & date of completion.
               23.4.08
Ask the unit to file affidavit indicating date of start of construction and completion of construction and also to submit completion certificate. Call on 21.05.2008.
	Letter issued on 03.04.2008. No reply received so far.(1)Compliance affidavit w.r.t. EC submitted on 17.03.2008.(2) Domestic effluent(44.61 KLD) will be discharged into the sewer without STP. Total water consumption is shown as 155.72 KLD as per consent application (3)Regarding DG Sets, accoustic enclosure proposed.(4) Affidavit regarding date of start of construction and completion not available. (5) Completion Certificate not available. (6) Letter of sanction of building plan not available. Unit vide its letter dated 09.04.2008 has informed that construction activity is yet to start and submitted a building plan.
Letter isued on 06.05.2008.
Reply received on 02.05.2008 that construction has not been started till date.
	The unit vide its consent application is showing water drawl of 1.55 Lakh litres per day and waste water discharge upto 80 % of the same. The unit must file authorization from local body for such a huge drawl of water and its professional treatment so that only treated effluent enters the drain. SIT while inspecting will devote specific attention to these two points along with D.G Sets details and their impact. As regard the item-wise compliance affidavit filed by the unit, SIT will also cross check what is stated there and submit its report on 18.06.2008. Call on 18.06.2008.

	3
	 
	 
	108 MW Combined Cycle Power Project at sector - 11, Rohini, Delhi - 85 by NDPL
	Nil
	Received a letter from MoEF, GOI dated 23.4.2008, indicating the Terms of Reference for preparing a draft EIA report.
Not applied for CTE.
	SCN be issued to the unit to apply for Consent to Establish.


