 Minutes of the 112th meeting of the Committee Constituted for Deciding the Consent under Orange Category, held on 29.04.2009 in the Conference Room of Chairman, DPCC.

   The following persons attended the meeting:

1. Sh. J. K Dadoo, Chairman DPCC

2. Dr. A.K.Ambasht, Member Secretary, DPCC

3. Sh. S.K.Gupta, Head Chemical Engineering Deptt. ,IIT Delhi 

4. Sh. B. Kumar, SEE, DPCC

5. Sh. M. Dwarakanth, SSO, Dept. of Env,. GNCTD.

6. EEs of CMC –  I & CMC-II.
7. AEE, CMC-II & AEE, PGRC.
In addition to above, Sh A.N. Singh Scientist, Deptt. of Environment and Trainee of CMC - II & SIT also attended the meeting.

Following decisions were taken in the said meeting:- 
Agenda Item No.1-   Personal hearing of National Highway Authority of India w.r.t. NH-1 Samaipur to Jindpur village, Delhi regarding dust pollution. 
The unit came for personal hearing today. It was informed to the Committee that the NHAI has changed the contractor who was earlier engaged for the construction work. The representative of the unit was directed that it should ensure that all dust emissions are checked fully. The measures taken by the unit be checked by PGRC next week and apprised on file. 
Agenda Item No.2-   WIA cases 
Decisions taken with respect to this agenda are tabulated and annexed as Annexure – 1.  It was decided to take necessary action, by the concerned CMC, without waiting for minutes. All the cases related to WIA will be taken up in the CMC meeting to be held on 28.05.2009.

Meeting ended with thanks to the Chair.

	Si No.
	Ref No.
	List
	Name of Industry / Unit
	Address
	Activity
	Production Figure
	Status of BG
	CTE status
	Status of consent
	Status of authorization
	Earlier Decisions
	ATR for 29.04.2009
	Decision on 29.04.2009

	1
	4
	WP
	Shree Krishna Industries
	A-101/1
	 Pickling &  Cold Re rolling of SS Sheets.
	2 tonnes (as per inspection report)
	BG submitted on 12.12.2007.
	 CTE issued on 02.12.2008 valid upto 01.12.2008. CTE on 19.11.2007 vide I.D. No. 24248.
	CTO obtained on 29.09.2003 (valid upto 28.07.2007) under Green category
CTO on 24.07.2006 vide I.D. No. 18889 
	Applied on 25.07.2006 vide I.D. No. 2926.
	           07.01.2009
Call on 25.02.2009
             25.02.09
SIT-II to inspect and report. Call on 15.04.2009
              15.04.2009
Call on 29.4.2009 with SIT-II report.
	As per CMC decision dated 17.11.2008, CTE issued.
SIT REPORT TO BE DISSCUSSED
	Ask the unit to  submit DJB clearance for ground water extraction. Call on 28.05.2009

	2
	6(e)
	AP
	Singal Steel
	A-136
	Pressing
	 
	 
	 
	 
	 
	           07.01.2009
Call on 25.02.2009
            25.02.09
SIT-II to inspect and report. Call on 15.04.2009
            15.04.2009
Call on 29.4.2009 with SIT-II report.
	Letter issued.
Reply received on 08.12.2008. Unit has informed that they have applied for consent in the name of M/s Singhal Industries on 21.11.2008 vide ID no. 28160.
SIT REPORT TO BE DISSCUSSED
	Call on 28.05.2009 with SIT-II report.

	3
	7
	AP
	Sangam Plastic
	A-103/6
	EVA Footwear
	 
	 
	Applied for CTE on 11.04.2008 vide I.D. No. 25483
	 
	 
	           17.11.2008
Refuse consent. Confirm closure. Call on 03.12.2008
           07.01.2009
File be submitted administratively. 
              25.02.09
SIT-II to inspect and report. Call on 15.04.2009
                15.04.2009
Call on 29.4.2009 with SIT-II report.
	As per CMC decision dated 04.07.2008, notice for closure has not been issued as unit has applied for CTE on 11.04.2008 vide I.D. No. 25483
Therefore, CMC decision of 17.11.2008 may be reviewed.
File was processed administratively
SIT REPORT TO BE DISSCUSSED
	Call on 28.05.2009 with SIT-II report.

	4
	15
	WO
	Jai Mata Metal Treatment
	A-74(Ground Floor)
	Heat Treatment
	500 Kg (as per raw material list) (unit left the premises as per SIT dated 25.04.08)
	BG not submitted.
	Not applied.
	CTO on 30.12.2005 vide I.D.No. 17412.
	Applied on 28.11.2005 vide I.D. No. 2559.
	          07.01.2009
Refuse consent and authorization and close the file. SIT to inspect after three months to check whether the unit is closed or not. 
         25.02.09
SIT-II to inspect and report. Call on 15.04.2009
          15.04.2009
Call on 29.4.2009 with SIT-II report.
	Consent and authorization refused.
Letter for reufsal of consnet and authorization issued to the unit returned back undelievered.
SIT REPORT TO BE DISSCUSSED
	No action for Jai Mata Metal Treatment.
Ask the new unit namely M/s Vardhman Steel to apply for Consent to Establish under Orange category. Call on 28.05.2009
Ask the new unit namely M/s Siddharth Metal to apply for Consent to Establish under Green category and shift the case to CMC(Green) Committee.

	5
	9b
	AP
	Ram Kumar Paswan
	A-74,
	Buffing Utensils
	400 pcs/day
	Not asked
	CTE applied on 28.08.2007 vide ID no. 23305
	 
	 
	          07.01.2009
Put these two units in the list with Consent to Establish application.
Ask the unit to comply with the CMC decision dated 21.10.2008. Call on 25.02.2009.  
           25.02.09
 SIT-II to inspect and report. Call on 15.04.2009    
            15.04.2009
Call on 29.4.2009 with SIT-II report.       
	SIT REPORT TO BE DISSCUSSED
	Call for personal hearing on 28.05.2009 at 5.30 PM.

	6
	9c
	AP
	Yadram
	A-74,
	Buffing Utensils
	350 pcs/day
	Not asked
	CTE applied on  28.08.2007 vide ID no. 23303
	 
	 
	07.01.2009
Put these two units in the list with Consent to Establish application.
Ask the unit to comply with the CMC decision dated 21.10.2008. Call on 25.02.2009.
               25.02.09
SIT-II to inspect and report. Call on 15.04.2009
               15.04.2009
Call on 29.4.2009 with SIT-II report.
	SIT REPORT TO BE DISSCUSSED
	Call for personal hearing on 28.05.2009 at 5.30 PM.

	7
	11a
	AP
	Sh. Ravi ( Dayal Industries)
	Shed no, 63, DSIDC
	Buffing
	8 tonnes / month (as per inspection report)
	Unit claims BG is not required as there is no buffing activity.
	Not applied/obtained
	Not applied.
	Not applicable
	           07.01.2009
Paste the letter on the premises. Call on 25.02.2009
              25.02.09
SIT-II to inspect and report. Call on 15.04.2009
             15.04.2009
Call on 29.4.2009 with SIT-II report.
	Letter pasted on the premises.
Reply received from landlord of the premises on 11.02.2009. He has informed that no such unit in the name of M/s Dayal Industries.  Units exist at the said address are (i) Ritu Industries & (ii) Arshad . Both of the units have applied for CTE under Green category in DPCC.
SIT REPORT TO BE DISSCUSSED
	Shift the case to CMC(Green) Committee.

	8
	11b
	AP
	Naresh Pressing
	1st Floor, Shed no, 63, DSIDC
	 
	 
	 
	 
	 
	 
	          07.01.2009
Paste the notice on the premises. Call on 25.02.2009
       25.02.09
SIT-II to inspect and report. Call on 15.04.2009
        15.04.2009 
Call on 29.4.2009 with SIT-II report.
	Letter pasted on the premises.
Reply received from landlord of the premises on 11.02.2009. He has informed that no such unit in the name of M/s Dayal Industries.  Units exist at the said address are (i) Ritu Industries & (ii) Arshad . Both of the units have applied for CTE under Green category in DPCC.
SIT REPORT TO BE DISSCUSSED
	Remove the name of Naresh Pressing from the list.
Ask the new unit namely M/s D.K. Steel to apply for Consent to Establish under Green category and shift to CMC(Green) Committtee.

	9
	33
	WP
	Gupta Iron & Steel Company 
	A-95 /1A
	Pickling, & Re-Rolling of S.S.Sheets (Annealing furnace defunct).  (closed down pickling activity)
	40 tonnes / month (as per affidavit)
	BG not submitted.
	CTE on 27.03.2008 & 16.04.2008 vide I.D. No. 25331 & 25508
	CTO on 02.07.2004 vide I.D. No. 10937.
CTO on 04.06.2007 vide I.D. No. 21658.
	Applied for renewal of authorization on 18.08.2006 vide I.D. No. 3321.
	          07.01.2009
Insist the unit to file Bank Guarantee of Rs. 1 Lakh each under Water Act & HWM Rules valid upto 06.02.2010. Call on 25.02.2009
              25.02.09
SIT-II to inspect and report. Call on 15.04.2009
              15.04.2009
Call on 29.4.2009 with SIT-II report.
	Letter issued.
Reply received on 06.02.2009. Unit has informed that the unit is not operational for the last one year and SIT also verified the same. Due to work constraint in the market, they have stopped pickling activity and also submitted the affidavit in this regard and requested to withddraw the said notice.
SIT REPORT TO BE DISSCUSSED
	Call for personal hearing on 28.05.2009 at 5.40 PM.

	10
	20
	WO
	Multi Products  Industries 
	A-97 / 5
	Surgical and Hospital wares (including anodizing and buffing)
	500 pieces per day (as per raw material list)
	BG of Rs. 75000.00 each submitted.under Air, Water, & HWM valid upto 06.02.2010.
	CTE obtained on 07.05.2008 (valid upto 06.05.2009 as per CMC decision dated 24.04.2008
	CTO(R) on 22.07.2005 vide I.D. No. 15475.
	Applied for renewal of authorization on 17.10.2006 vide I.D. No. 3921.
	        07.01.2009
Paste the letter on the premises. Call on 25.02.2009
       25.02.09
SIT-II to inspect and report. Call on 15.04.2009
         15.04.2009
Call on 29.4.2009 with SIT-II report.
	Letter issued.
Letter pasted. Unit has applied for CTO (R ) on under Orange category 30.01.2009 vide ID no. 28830.
SIT REPORT TO BE DISSCUSSED
	The following deficiencies were observed during the inspection by SIT:-
(i) Hazardous waste needs to be stored as per HWM Rules, 1989. 
(ii) Adequacy report for ECS needs to be submitted.
Ask the unit to correct the above deficiencies and submit an affidavit in this regard. Call on 28.05.2009.

	11
	22
	WO
	Wesco Auto Products (I) Pvt. Ltd.
	B-72
	Auto electrical switches for tractors involving electroplating.
	100 pieces (as per adequacy report)
	BG of Rs. 75000.00 each submitted under Air, Water & HWM valid upto 06.02.2010
	CTE obtained on 07.05.2008 (valid upto 06.05.2009) as per CMC decision dated 24.04.2008
	CTO on 28.09.2004 vide I.D. No. 11748.
CTO applied on 18.02.2009 vide ID no. 29055
	Applied for renewal of authorization on 25.07.2006 vide I.D. No. 2925.
	 21.10.2008
Ask the unit to apply for consent to operate afresh. Call on 03.12.2008
     07.01.2009
Paste the letter on the premises. Call on 25.02.2009
         25.02.09
SIT-II to inspect and report. Call on 15.04.2009
         15.04.2009
Call on 29.4.2009 with SIT-II report.
	Letter issued , no reply received.
Letter pasted.
CTO applied on 18.02.2009 vide ID no. 29055
SIT REPORT TO BE DISSCUSSED
	Ask the unit to raise the stack height of the D.G. Set and submit permission from DJB for ground water extraction. Call on 28.05.2009

	12
	13
	AP
	 A.S. Fabricator (Prop. Ish Kumar)
	Shed No 71, Ground Floor, DSIDC
	Cold Rerolling of S.S. Sheets
	300 kg/.day
	 
	CTE applied on 07.07.2008 vide ID no. 07.07.2008
	 
	 
	         07.01.2009
Call on 25.02.2009
            25.02.09
SIT-II to inspect and report. Call on 15.04.2009
            15.04.2009
Call on 29.4.2009 with SIT-II report.
	Notice for closure issued.
Reply received on 19.11.2008. Unit informed that they have already applied for CTE vide ID 26332 on 07.07.2008 in the name of M/s A.S. Fabricator with the proprieter name Ish Kumar
SIT REPORT TO BE DISSCUSSED
	Call on 28.05.2009

	13
	71
	WP
	Rishabh Steel
	C-59/2
	Pickling of SS Sheets
	2.0-2.5 tonnes (as per inspection report)
	Submitted valid up to 06.02.2010 for 3 lakhs
	CTE obtained on 19.04.2004 (valild upto 16.03.2005)
CTE on 22.10.2007 vide I.D. No. 23992.
	CTO on 16.03.2005 vide I.D. No. 13016.
Not applied for CTO. 
	Applied on 08.11.2007 vide I.D. No. 4416.
	         07.01.2009
SIT to inspect and report. Call on 25.02.2009      
          25.02.09
Call on 15.04.2009 with SIT report
          15.04.2009
Call on 29.4.2009 with SIT-II report.
	Letter issued on 21.08.2008 to the unit to raise pH level of the effluent being discharged by the unit from 2 to 7.
Reply received on 29.09. 2008 and informed that they are discharging effluent within the DPCC norms i.e. 5.5. to 8.5 & the same can veify from individual sewer connection and requested to treat individually or one to one basis not collective.
SIT REPORT TO BE DISSCUSSED
	Call for personal hearing on 28.05.2009 at 5.20 PM.

	14
	18
	AP
	R.K. Steel
	Ground Floor, B-58, Group
	Re-rolling
	 
	 
	Applied for CTE on 09.07.2008 vide I.D. No. 26373.
	CTO obtained on 26.06.2003 vide consent order no. 6079 (valid upto 13.08.2005)
CTO(R)  on 15.11.2006 vide consent order no. 17624 (valid upto 13.08.2009)
	 
	          07.01.2009
No action.
         25.02.09
 SIT-II to inspect & report. Call on 15.04.2009
           15.04.2009
Call on 29.4.2009 with SIT-II report.
	No action.
SIT REPORT TO BE DISSCUSSED
	Call on 28.05.2009 with SIT-II report.

	15
	75
	WP
	Baba Steels
	A- 14 (Backside)
	Pickling (unit found closed &locked from outside .Unit non operational)
	Not Mentioned 
	BG not submitted.
	CTE refused on 19.09.2008
	CTO refused on 18.08.2007 vide refusal no. 1659.
CTO obtained on 25.05.2004 vide consent order no. 10566 (valid upto 25.07.2005)
	Applied for renewal on 18.08.2006 vide I.D. No. 3351.
	          07.01.2009
Paste the letter on the premises. 
Issue reminder for compliance.
Call on 25.02.2009
           25.02.09
SIT-II to inspect & report after three months. Call on 15.04.2009
           15.04.2009
Call on 29.4.2009 with SIT-II report.
	Consent refused.
Letter issued to discom agencies.
No compliance report received.
Letter for refusal of consent returned back undelievered.
Letter pasted. No reply received.
SIT REPORT TO BE DISSCUSSED
	Ask the unit to submit an affidavit stating that they have removed  materials/machinery related to pickling from the premises. Call on 28.05.2009

	16
	79
	WP
	Shakti Industries
	C-9/4
	Re-Rolling and Pickling of SS Sheets.
	300 Kg (as per inspection report)
	BG of Rs. 50000 submitted.
	CTE on 14.12.07 vide I.D. No. 24492.
	CTO valid up to 01.8.05.
Applied for CTO(R) on 08.10.2007 vide I.D. No. 23808.
	_
	      07.01.2009
Call on 25.02.2009
     25.02.09
SIT-II to inspect & report. Call on 15.04.2009
        15.04.2009
Call on 29.4.2009 with SIT-II report.
	Final notice issued.
Reply received on 02.09.2008
BG submitted on 02.09.2008.
SIT REPORT TO BE DISSCUSSED
	Issue SCN for closure under Air & Water Act and forfeit the Bank Guarantee as pickling related equipments found lying in the premises. Call on 28.05.2009

	17
	22
	AP
	Shyam Steel
	C-57, 1st Floor
	Circle cutting
	 
	 
	 
	 
	 
	          21.10.2008
Issue final reminder. Call on 03.12.2008
          07.01.2009
Paste the notice on the premises. Call on 25.02.2009
          25.02.09
SIT-II to inspect & report. Call on 15.04.2009
           15.04.2009
Call on 29.4.2009 with SIT-II report.
	Notice pasted.No reply received.
Final reminder issued which is returned back undelivered.
Letter pasted. Reply received from M/s Kusum Steel Company on 16.02.2009 & informed that M/s Shyam Steel has left the premises since two and half years back.
SIT REPORT TO BE DISSCUSSED
	No unit in th name of Shyam Steel exists. Ask the new unit M/s Sohal Engineers to apply for Consent to Establish under Green categroy and shift to CMC(Green) Committee. Call on 28.05.2009

	18
	105
	WP
	W.C. Steel
	B-70/2
	Pickling of SS sheet
	1.5 Tonnes per ady as per List of raw materials
	Not Sought
	Not applied/obtained
	CTO refused on 19.09.2007 vide refusal no. 1673.
	Refused on 19.09.2007
	            21.10.2008
Issue reminder for compliance in case of  W.C. Steel.
There is a new application namely Shyam Khatu Ji Steel proposing the activity from the negative list of MPD-2021. Refuse Consent to Estalish with copy to MCD and ensure that it does not set up.Call on 03.12.2008
            07.01.2009
Ask the unit to file affidavit regarding removal of plant and machinery. Call on 25.02.2009
            25.02.09
SIT-II to inspect & report. Call on 15.04.2009
             15.04.2009
Call on 29.4.2009 with SIT-II report.
	Letter issued.
Reply along with affidavit received from M/s W.C. Steel on 12.02.2009 & informed that the equipments related to the pickling activity has been removed by M/s Shree Shyam Khatu Ji Steels.
SIT REPORT TO BE DISSCUSSED
	Issue reminder for compliance. Call on 28.05.2009

	19
	146a
	WP
	BRIGHT (I) INDUSTRIES 
	C-9/3
	Re-rolling and Pickling of S.S. steel (Annealing furnace under installation)
	20-30tones/month
	BG of one lakh each under Air, Water and HMW. Submitted on 21.01.08, valid upto one year.
	CTE granted on 05.02.08 and valid upto 4.02.09
	CTO on 14.01.2008 vide I.D. No. 24740.
	 
	04.07.2008
SIT to inspect & report.
                17.11.2008
SIT to inspect and report again. Call on 03.12.2008
Ask the another unit namely M/s Delhi Wire to apply for Consent to Establish.
                07.01.2009
Call on 25.02.2009 with SIT report.
            25.02.09
SIT-II to inspect and report. Call on 15.04.2009
             15.04.2009
Call on 29.4.2009 with SIT-II report.
	Letter issued.
No reply received.
SIT report to be discussed.
	Ask the unit to correct the  deficiencies, observed by SIT as  listed below and submit an affidavit in this regard:-
(i) No ECS with annealing furnace.
(ii) D.G. Set found without acoustic enclosure and stack height. 
(iii) ECS over pickling bath has no water connection with scrubber
(iv) Channelization to be provided with the filter press for filtrate collection 
(v) Tray needs to be provided underneath filter press for sludge collection 
(vi) Proper approach needs to be provided to ETP 
(vii) One borewell exists at site 
(viii) pH of the chamber connected to sewer was found to be 4 to 6.
 Call on 28.05.2009.

	20
	48
	AP
	Nanak Chand
	B-29 
	 
	 
	 
	 
	 
	 
	                      17.11.2008
Issue notice for closure for not applying for CTE. Call on 03.12.2008
                       07.01.2009
Issue final reminder to the unit to apply for Consent to Establish.
                    25.02.09
SIT-II to inspect and report. Call on 15.04.2009
                    15.04.2009
Call on 29.4.2009 with SIT-II report.
	Letter issued. Reply received on 25.02.2009. Unit has informed that no unit is running in the name of M/s Nanak Chand, Nanak Chand is the Prop. Of the M/s Durga heating work for which CTE already applied. However, DPCC,s record shows that M/s Durga Heating Work has granted CTE under Green category valid upto 22.10.2009 and CTO & CTR under Orange category valid upto 25.07.2005 & 25.07.2008 respectively.
SIT REPORT TO BE DISSCUSSED
	Shift Nanak Chand to Green Committee. 

	21
	56
	AP
	R.K Jain
	B-31/1, Group  
	 
	 
	 
	 
	 
	 
	                      17.11.2008
Issue notice for closure for not applying for CTE. Call on 03.12.2008
                    07.01.2009
Call on 25.02.2009
             25.02.09
SIT-II to inspect and report. Call on 15.04.2009
           15.04.2009
Call on 29.4.2009 with SIT-II report.
	Letter issued. Reply received on 02.12.2008. Unit has informed that:-
1. Mr. R.K. Jain is the Prop. of M/s Navkar Industries.
2. Applied for CTO ( R) under Green category on 31.07.2007 vide ID no. 22959.
3. CTE applied on 13.10.2008 vide ID no. 27771 under Orange category
SIT REPORT TO BE DISSCUSSED
	Call on 28.05.2009 with SIT-II report.

	22
	74
	AP
	Ghanshyam
	A-110/1 
	Mfg of plastic battery containers & parts
	 
	 
	 
	CTO obtained on 08.08.2003 vide consent orderno. 7171 (valid upto 25.07.2005)
CTO (R) on 14.10.2005 vide I.D. No. 16727.
	 
	                      17.11.2008
Ask the unit to apply for CTE. Also send this case to Mr. Lal for NCAER study. Call on 03.12.2008
                     07.01.2009
Issue reminder to the unit to apply for Consent to Establish. 
                   25.02.09
SIT-II to inspect and report. Call on 15.04.2009
                   15.04.2009
Call on 29.4.2009 with SIT-II report.
	Letter issued.
Reply received on 10.02.2009. Unit has informed that mfg. unit is clsoed which was already informed to DPCC. Even then, if they are suppose to take any clearance, they will carry out the same as per DPCC advice.
SIT REPORT TO BE DISSCUSSED
	Call on 28.05.2009 with SIT-II report.

	23
	86
	AP
	Prime Enterprises (Unit-II)
	A-103/10 
	 
	 
	 
	CTE applied on 09.09.2008 vide I.D. No. 27260
	 
	 
	                      17.11.2008
Ask the 2nd unit  to submit adequacy report and Bank Guarantee of Rs. 1 Lakh under Air Act.  Call on 03.12.2008
                  07.01.2009
Ask the unit to submit an affidavit stating that they have closed down the buffing activity.
                 25.02.09
Refuse Consnet to Establsih. SIT-II to inspect and report. Call on 15.04.09
                 15.04.2009
Call on 29.4.2009 with SIT-II report.
	Letter issued.
Reply along with affidavit received on 10.02.2009. Unit has informed that they have removed buffing stuf from the site and buffing activity have been closed and CTE application may be treated as null and void.(File of Prime Enterprises already shifted to green as per decison on 17.11.2008 )
SIT REPORT TO BE DISSCUSSED 
	SIT-II to submit proper report on 28.05.2009

	24
	91
	AP
	Dinesh Bansal
	A-98/11 
	 
	 
	 
	 
	 
	 
	                      17.11.2008
Paste the letter. Call on 03.12.2008
                   07.01.2009
Call on 25.02.2009
            25.02.09
SIT-II to inspect and report. Call on 15.04.2009
              15.04.2009
Call on 29.4.2009 with SIT-II report.
	Address was not found.
SIT REPORT TO BE DISSCUSSED
	SIT-II to inspect and report. Call on 28.05.2009

	25
	97
	AP
	  Ved Prakash, Sheela Devi & Nirmal Goel 
	A-93/12 
	 
	 
	 
	Applied for CTO (R) under Orange category on 15.12.2008 vide 28371.
	CTO application on 31.03.2005 vide I.D.No. 13314.
	 
	                      17.11.2008
Issue notice for closure for not applying for CTE. Call on 03.12.2008
                     07.01.2009
Ask the units M/s Ved Prakash, Sheela Devi & Nirmal Goel to apply for Consent to Establish.
                  25.02.09
SIT-II to inspect and report. Call on 15.04.2009
                  15.04.2009
Call on 29.4.2009 with SIT-II report.
	Letter issued.
Reply received on 03.12.2008 from M/s Ved Prakash, Sheela Devi & Nirmal Goel stating that there is no unit in the name of M/s Batu Ram, the responded has submitted CTO application on 31.03.2005 vide I.D.No. 13314.
M/s Ved Parkash, Sheela Devi & nirmal goel has applied for CTR under Orange category on 15.12.2008 vide 28371.
SIT REPORT TO BE DISSCUSSED
	Issue final reminder to the unit to apply for Consent to Establish. Call on 28.05.2009

	26
	102
	AP
	 Metal Products
	A-89
	Mfg. of Wire (as per SIT report)
	 
	 
	Applied for CTE under Orange category on 10.02.2009 vide ID no. 28970.
	Applied for Renewal of Consnet on 25.07.2005 vide ID no. 15649 for the activity of Copper Wire drawing.
	 
	                      17.11.2008
Issue notice for closure to new six units to apply for Consent to Establish.
                       07.01.2009
Issue reminder to the unit to apply for Consent to Establish. 
                       25.02.09
SIT-II to inspect and report. Call on 15.04.2009
                         15.04.2009
Call on 29.4.2009 with SIT-II report.
	Letter issued. Reply received on 02.12.2008. Unit has informed that:- 
1. Already applied for Renewal of Consnet on 25.07.2005 vide ID no. 15649 for the activity of Copper Wire drawing.
2. Unit has also submitted form-1 for the grant of Authorization for storage of Hazarous waste under HWM rules.
Unit has applied for CTE under Orange category on 10.02.2009 vide ID no. 28970.
SIT REPORT TO BE DISSCUSSED
	The following deficiencies were observed during the inspection by SIT:-
(i) One underground tank provided which can be utilized acid wash.
(ii) Hazardous waste sludge needs to be maintained as per HWM Rules, 1989.
Ask the unit to correct the above deficiencies and submit an affidavit in this regard. Call on 28.05.2009.

	27
	117
	AP
	 Asha Ram Industries
(Prop.P.K.Jain)
	A-76/1 
	Mfd. Utensils with buffing
	500 pcs/day as per the affidavit
	 
	CTE applied on 22.09.2008 vide ID no. 27470
	 
	 
	                      17.11.2008
SIT to inspect and report. Call on 07.01.2009
                   07.01.2009
Ask the unit to install ECS and provide adequate stack height with the D.G.Set.
                  25.02.09
SIT - II to inspect and report on 15.4.09.
                 15.04.2009
Call on 29.4.2009 with SIT-II report.
	Letter issued.
Reply received  on 06.02.2009. Unit has informed that they have temporarily started buffing machines at the said address. But due to no job in the market, they have removed the buffing activity from the premises. Now unit is not doing buffing activity. So, unit has requested don't insist to install ECS on buffing machines and also stated that they have provided the adequate stack with D.G. Set as directed by SIT. 
SIT REPORT TO BE DISSCUSSED
	The following deficiencies were observed during the inspection by SIT:-
(i) No ECS installed over buffing machines. 
(ii) D.G. Set stack height still needs to be raised as per norms.
Ask the unit to correct the above deficiencies and submit an affidavit in this regard. Call on 28.05.2009.

	28
	157
	WP
	Exim International
	C-60/1
	Pickling
	 
	 
	 
	CTE applied on 07.10.2008 vide ID No. 27700 which refused on 05.11.2008
	 
	                        05.11.2008
In case of M/s Exim International, application for auhtorization under HWM Rules be refused and inform MCD accordingly.
                      07.01.2009
Call on 25.02.2009
           25.02.09
SIT-II to inspect and report by 15.4.09
           15.04.2009
Call on 29.4.2009 with SIT-II report.
	Consent & Authorization refused.
Letter issued. Reply received on 19.11.2008. Unit has given thanks to DPCC for timely refused the proposed activity.  
SIT REPORT TO BE DISSCUSSED
	Ask the Exim International to apply for Consent to Establish for the new address. Call on 28.05.2009

	29
	165
	AP
	Prem Industries
	A-106, Group
	Fabrication of Steel grills & gates
	 
	 
	job work
	CTEunedr Orange category applied on 02.04.2008 vide Id no. 25388
	Rnewal applied on 29.05.2007 under Green category vide ID no. 21565
	               25.02.2009
SIT to inspect & report. Call on 15.04.2009
               15.04.2009
Call on 29.4.2009 with SIT-II report.
	Unit has submitted a reply on 06.01.2009 stating that they have applied  under Orange category by mistake. As per the decision of CMC Green dated 22.01.2009, file was put up administratively & as decided letter was issued to deposit condonation fee of Rs. 450 for 1year which was not paid earlier. Reply received on 26.02.2009 along with a bank draft of Rs. 450
SIT Report to be discused.
	Call on 28.05.2009 with SIT-II report.

	30
	164
	AP
	Rajan Chabra
	Shed No. 60, DSIDC Complex,
	Mfg. of plastic moulded goods
	 
	 
	CTE obatined on 22.06.2006 vide consent no. 16050 valid upto 21.06.2007
	Applied for CTO on 26.09.2007 vide I.D. No. 23653.
	 
	            09.04.2009
SIT to inspect & report & call on 15.04.2009
            15.04.2009
Call on 29.4.2009 with SIT-II report.
	SIT REPORT TO BE DISSCUSSED
	Call on 28.05.2009 with SIT-II report.

	31
	159
	WP
	JMD Industries (Ish Kumar)
	B-21/1
	Pickling & Re-Rolling of SS sheets.
	1 tonne/ day
	 
	CTE applied on 20.09.2007 vide ID no. 20.09.2007
	 
	 
	          07.01.2009
Call on 25.02.2009
           25.02.09
Refuse Consnet to Establsih with a copy to MCD to cancel license if any. SIT-II to inspect and report. Call on 15.04.09
            15.04.2009
Call on 29.4.2009 with SIT-II report.
	Letter issued.  No reply received, however, unit has submitted a letter on 21.11.2008 and informed that:-
1.They have already applied for CTE in the name of M/s JMD Industries (Prop. Ish Kumar) on 20.09.2008 vide ID no. 23566 for pickling activity. 
2. Due to not issue CTE, unit has dropped the idea to start the activity, so kindly requested to delete the name of the unit.
Refusal letter issued. SIT REPORT TO BE DISCUSSED
	Call on 28.05.2009 with SIT-II report.

	32
	41
	WP
	Shri Shyam Steels
	A-113/1
	Re-Rolling & Pickling of SS Sheets.
	1.5-2 tonnes (as per inspection report)
	BG not asked.
	CTE on 18.03.2008 vide I.D. No. 25219.
	CTO on 21.03.2005 vide I.D. No. 13116.
CTO(R) on 29.05.2008 vide I.D. No 25881.
	Applied for renewal on 18.08.2006 vide I.D. No. 3358.
	         07.01.2009
Insist the unit to file CGWA clearance. Call on 25.02.2009.
        25.02.09
Refer to CEO, DJB for opinion on the permision required for ground water extraction.Call on 15.04.2009
	Common letter issued to DJB on 06.04.09 & reply is yet to recived . 
	Call on 28.05.2009

	33
	74
	WP
	A.V. Metal
	A-75/2
	Re-rolling and pickling of SS sheets
	8 MT/month
	not submitted
	CTE on 13.11.2007 vide ID No. 24193
	CTO obtained on 20.09.04 (valid upto 28.07.07) 
CTO(R) refused on 14.09.07 vide refusal no. 1672.
Not applied for CTO. 
	_
	          21.10.2008
Link with Supreme Court order. Call on 03.12.2008
         07.01.2009
SIT to inspect and report. Call on 25.02.2009
         25.02.09
Ask the unit to correct the deficienices observed by SIT and submit Bank Guarantee of Rs. 1 Lakh each under all the three Acts valid upto 06.02.2010. Call on 15.04.2009.
	Letter issued unit to correct the deficienices observed by SIT and submit Bank Guarantee of Rs. 1 Lakh each under all the three Acts valid upto 06.02.2010. No reply received.
	Call for personal hearing on 28.05.2009 at 5.00 PM.

	34
	78
	WP
	Parasmani Steel Job Works
	B-33/3, Group
	Re-rolling & Pickling
	1 tonne/day (as per inspection report)
	BG not submitted.
	CTE on 11.09.2007 vide I.D. No. 23462.
	 
	 
	   07.01.2009
Issue reminder for submission of Bank Guarantee. Also ask the unit to submit an action plan for stoppage of the activity before 07.02.2010, which falls under negative list as per MPD-2021 and an action plan for new proposed activity in conformity with MPD-2021 on the vacant plot due to closure of present activity. Call on 25.02.2009.
   25.02.09
Issue SCN u/s 31(A) of the Air Act and u/s 33(A) of the Water Act. Call on 15.04.2009
	B.G not submitted ,SCN for closure issued. Reply received on 13.04.09, unit seeking 15-20 days more time to submit the BG.
	Final extension for submission of Bank Guarantee. Call on 28.05.2009

	35
	100
	WP
	Shiv Industires
	B-7 (Back side), Group
	Re-Rolling & Pickling of S.S.Sheets (Presently unit is not in operation)
	1 tonne (as per affidavit)
	BG not submitted.
	Not applied/obtained
	CTO was valid up to 06.6.07.
CTO(R) on 11.07.2007 vide I.D.  No. 22316.
	Applied for renewal of  authorization on 09.08.2006 vide I.D. No. 3245.
	      07.01.2009
Issue final reminder to the unit to comply with the CMC decision dated 03.09.2008. Call on 25.02.2009
       25.02.09
Refer to CEO, DJB for opinion on the permision required for ground water extraction & reminder for submission of bank guarantee & issue letter to submit definite Action plan wrt MPD-2021
	Common letter issued to DJB on 06.04.09 & reply is yet to recived . Letter issued to unit, Reply received on 23.04.2009,  Unit has informed that they are undertake that unit is bound with rules & regulations of the pollution control. As far as concerned to the stoppage it is humbly submitted that they will plan the buisness activity depending upon the prevailing circumstances and guidelines of the government of delhi at that time. BG not submitted, unit requested 2 month more time to submit the BG.
	Final extension for submission of Bank Guarantee. Call on 28.05.2009

	36
	103
	WP
	Vardhman Metal
	B-50, Group
	Pickling
	4 T/day as per adequacy report
	Not Sought
	CTE on 28.02.2008 vide I.D. No. 25059.
	CTO on 21.07.2004 vide I.D. No. 11088.
Not applied for  CTO. 
	Applied on 29.08.2007 vide I.D. No. 3426.
	       07.01.2009
Issue final reminder to the unit to comply with the CMC decision dated 03.09.2008. Call on 25.02.2009
       25.02.09
Refer to CEO, DJB for opinion on the permision required for ground water extraction & Issue letter to the unit to submit definite action plan for stoppage of the activity before 07.02.2010, which falls under negative list as per MPD-2021 & also give an affidavit that it is discharging its effluents whose pH is within the norms
	Common letter issued to DJB on 06.04.09 & reply is yet to recived . Letter issued to unit seeking definite action plan & no reply received.
	Public notice to be issued for closure of units, by 06.02.2010, engaged in the activities falling under negative list as per MPD 2021.

	37
	117
	WP
	PARASVNATH STEELS 
	A-95
	Pickling and Re-Rolling on S.S. Sheets.
	1  tonne / day as per affidavit.
	Not Sought
	 
	CTO applied on 06.06.07 vide I.D. No. 21708.
	 
	                 07.01.2009
Put up administratively
                25.02.09
Call on 15.04.09.
	Other unit at same premises namely M/s A.N. Steel Inds was closed down by DPCC (listed at Sl. No 44 in the list of 73). M/s Parasvnath Steels  has applied for CTO on 06.06.2007 for the activity of cold rolling. Thereafter, unit has submitted documents along with adequacy report for the additional activity of pickling on 10.09.2007. Hence, the said activity listed in negative list as per the MPD-2021.
Already applied in CGWA for the permision (copy enclosed), as soon as they will get the permission, the same will be submitted.
Letter issued. Reply received on 10.12.2008 & informed that they have applied in CGWA but CGWA has informed that the existing industries do not come under the purview of CGWA clearance (copy enclosed).
File submitted administratively and it was decided to place in CMC(O) today.
	Consent application be refused and and ask the unit not to establish the pickling activity, which falls under negative list of MPD-2021 . Call on 28.05.2009

	38
	118
	WP
	P.B. STEEL 
	A-24
	Cold Re-rolling of S.S. Sheeets without pickling.
	15 tonne/ month as per CTR application
	not submitted
	CTE refused on 24.11.2008 vide refusal no. 1714
	CTO obtained on 07.10.2003 (valid upto 01.08.2005)
Not applied for CTO. 
	 
	                 07.01.2009
Ask the unit to submit an affidavit to the effect that the unit has sold the machinery. Also, ask the unit to submit Bank Guarantee.
               25.02.09
Insist the unit to submit the Bank Guarantee sought earlier.
	Letter issued. Reply received on 13.04.09, unit has informed that they are not engaged in the pickling activity & only engaged in re-rolling activity & pickling machinery have been kept in the market for sale for which an affidavit has given, so requesting to withdraw the notice of submision of BG..
	Insist the unit to submit the Bank Guarantee sought earlier. Call on 28.05.2009

	39
	119
	WP
	ARUSHI EXPORTS 
	A-29 Group 
	Pickling and Cold rolling of S.S. Sheets
	400 kg / day as per affedavit
	not submitted
	CTE refused on 24.11.2008 vide refusal no. 1715.
	 
	 
	              07.01.2009
Ask the unit to submit an affidavit to the effect that the unit has not been esablished and submit a Bank Guarantee of Rs. 1 Lakh each under Water Act, 1974, Air Act, 1981 & HWM Rules  valid upto 06.02.2010.
            25.02.09
Issue reminder the unit to submit Bank Guarantee sought earlier & also ask the unit to submit an affidavit to the effect that the unit has not been esablished.
	Letter isued. 
Reply received on 15.04.09. Unit has informed that they received the letter on 09.04.09, so give more time to submit the BG. Unit informed that the unit is already establish in year 2007 & CTE, AR etc also submitted, so unit requesting to allow to operate the unit upto 06.02.2010.
	The decision of CMC reiterated. Ask the unit to file Bank Guarantee by 28.05.2009. Call on 28.05.2009

	40
	120
	WP
	KASTURI STEEL INDUSTRIES 
	A-65
	Pickling,Annealing and Re-rolling of SS sheets.
	500 kg/day"(As per affidavit)
	not submitted
	Not required
	CTO (R) applied on 05.11.2008 vide ID No. 28022.
	Authorization grantd. Valid upto 07.08.2009
	               07.01.2009
Ask the unit to submit an affidavit to the effect that the deficiencies have been corrected  and also to submit a Bank Guarantee of Rs. 1 Lakh each under Water Act, 1974, Air Act, 1981 & HWM Rules  valid upto 06.02.2010.
         25.02.09 
Issue reminder to the unit to submit an affidavit for correction of SIT deficiencies & submission of Bank Guaratnee.
	Letter issued. Reply received on 15.04.09 along with affidavit for correction of SIT deficiencies & requesting more time to submit the BG
	Final extension for submission of Bank Guarantee. Call on 28.05.2009

	41
	121
	WP
	MITTAL RE-ROOLING 
	A-76/2
	Re-rolling and Pickling 
	0.6 tonnes/ day as per  affidavit
	BG of Rs. 20,000 submitted dated 15.03.05  and valid for 4 months. 
	 
	CTO vide consent order 18015 granted on 16.08.07 valid upto 14.10.07.
CTO(R) on 10.12.2007 vide I.D No 24596.
	 
	                07.01.2009
Insist the unit to submit definite action plan, CGWA clearance and Bank Guarantees as sought earlier.
              25.02.09
Refer to CEO, DJB for opinion on the permision required for ground water extraction. Issue letter to the unit to submit definite action plan for stoppage of the activity before 07.02.2010, which falls under negative list as per MPD-2021 & reminder to submit the Bank Guarantee sought earlier.
	Common letter issued to DJB on 06.04.09 & reply is yet to recived .
 Letter issued to unit,  reply received on 13.04.09. Unit has informed that they are undertake that unit is bound with rules & regulations of the pollution control. As far as concerned to the stoppage it is humbly submitted that they will plan the buisness activity depending upon the prevailing circumstances and guidelines of the government of delhi at that time. BG not submitted due to the market slowdown & requested for more time..
	Final extension for submission of Bank Guarantee. Call on 28.05.2009

	42
	122
	WP
	SHRI BANKEY BIHARI ROLLING 
	A-118
	Annealing,Re-rolling and Pickling 
	2 tonn/ day as per affidavit.
	BG not submitted
	CTE refused onm 25.11.2008 vide refusal no. 1716.
	 
	 
	               07.01.2009
Ask the unit to submit an affidavit to the effect that the unit has not been esablished.
              25.02.09
Ask the unit to submit an affidavit to the effect that the unit has not been esablished and submit a Bank Guarantee of Rs. 1 Lakh each under Water Act, 1974, Air Act, 1981 & HWM Rules  valid upto 06.02.2010.
	Letter issued. No reply received.
	Issue reminder to the unit to submit an affidavit to the effect that the unit has not been esablished and submit a Bank Guarantee of Rs. 1 Lakh each under Water Act, 1974, Air Act, 1981 & HWM Rules  valid upto 06.02.2010.

	43
	123
	WP
	DURGA INDUSTRIES 
	A-97/3
	pickling and re-rolling
	1.5-2 ton/day as per affidavit
	BG not submitted
	 
	CTO(R) obtained on 01.05.2006 vide consent order no. 14365 (valid upto 22.07.2008)
CTO(R) on 27.08.08 vide I.D. No. 27101.
	 
	              07.01.2009
Insist the unit to submit definite action plan and Bank Guarantees of Rs. 1 Lakh each under Water Act, 1974, Air Act, 1981 & HWM Rules valid upto 06.02.2010 as sought earlier.
         25.02.09
Issue final reminder to the unit to submit bank guarantees of Rs. 1 Lakh each under Water Act, 1974, Air Act, 1981 & HWM Rules valid upto 06.02.2010 as sought earlier & definite action plan w.r.t. MPD-2021.
	Letter issued. Reply received on 13.04.2009. Unit has informed that they have already submited the definite action plan . BG not submitted due to the market slowdown & requested for more time.
	Final extension for submission of Bank Guarantee. Call on 28.05.2009

	44
	125
	WP
	JAYNA STRIPS 
	A-97/1 A 
	Annealing,Re-rolling and Pickling 
	1 tonn / day as per affidavit.
	BG not submitted
	 
	CTO applied on 27.08.07 vide I.D.No. 23293
	 
	               07.01.2009
Insist the unit to submit definite action plan wrt MPD 2021 and submit Bank Guarantee of Rs. 1 Lakh each under Water Act, 1974, Air Act, 1981 & HWM Rules valid upto 06.02.2010 .
            25.02.09
Issue reminder to the unit to submit definite action plan wrt MPD 2021 and submit Bank Guarantee of Rs. 1 Lakh each under Water Act, 1974, Air Act, 1981 & HWM Rules valid upto 06.02.2010 .
	Letter issued. 
Reply breceived on 15.04.2009. Unit has informed that they are undertake that unit is bound with rules & regulations of the pollution control. As far as concerned to the stoppage it is humbly submitted that they will plan the buisness activity depending upon the prevailing circumstances and guidelines of the government of delhi at that time. BG not submitted due to bad market scenario, hence asking more time to submit the BG.
	Final extension for submission of Bank Guarantee. Call on 28.05.2009

	45
	127
	WP
	EASTERN ENGG. 
	C-86
	Anniealing and pickling of S.S sheet 
	300 kg/day as per affidavit
	Not sought
	Not required
	CTO (R) applied on 07.10.2008 vide ID No. 27689
CTO vide consent order no. 18004 granted on 8.8.07
	Authorization granted. Valid upto 07.08.2009.
	              07.01.2009
Insist the unit to submit CGWA clearance.
            25.02.09
Refer to CEO, DJB for opinion on the permision required for ground water extraction
	Common letter issued to DJB on 06.04.09 & reply is yet to recived . 
	Call on 28.05.2009

	46
	128
	WP
	VISHWAKARMA METAL.
	A-101/12
	pickling and cold re-rolling of steel.
	2 ton/day.
	BG of Rs. 3 Lakhs submitted
	 
	CTO(R) order no 17998 granted on 3.8.07 and expire on 2.2.08.
CTO(R) on 29.02.2008 vide I.D. No. 25071.
	 
	               07.01.2009
Insist the unit to submit definite action plan wrt MPD 2021 and submit Bank Guarantee of Rs. 1 Lakh each under Water Act, 1974, Air Act, 1981 & HWM Rules valid upto 06.02.2010 
                25.02.09
.Issue reminder to the unit to submit definite action plan wrt MPD 2021 and submit Bank Guarantee of Rs. 1 Lakh each under Water Act, 1974, Air Act, 1981 & HWM Rules valid upto 06.02.2010 .
	Letter issued. 
BG submitted. However, definite action plan not submitted.
	Public notice to be issued for closure of units, by 06.02.2010, engaged in the activities falling under negative list as per MPD 2021.

	47
	129
	WP
	ANIL METAL INDUSTRIES 
	A-104/9
	Annealing Re-rolling and pickling of S.S. sheet
	2000Kg/day
	BG not submitted
	 
	CTO (R) vide consent order no 16777 granted on 12.9.06 and valid upto 25.7.08
Not applied for CTO(R)
	Authorization granted. Valid upto 08.10.2009.
	               07.01.2009
Insist the unit to submit definite action plan wrt MPD 2021 and submit Bank Guarantee of Rs. 1 Lakh each under Water Act, 1974 & Air Act, 1981 valid upto 06.02.2010 .
              25.02.09
Issue reminder to the unit to submit definite action plan wrt MPD 2021 and submit Bank Guarantee of Rs. 1 Lakh each under Water Act, 1974, Air Act, 1981 & HWM Rules valid upto 06.02.2010 
	Letter issued. Reply received on 13.04.2009. Unit has informed that they have already submited the definite action plan . BG not submitted due to the market slowdown & requested for more time.
	Final extension for submission of Bank Guarantee and put up public notice for closure of the units falling under negative list of MPD-2021. Call on 28.05.2009

	48
	130
	WP
	SAGAR STEEL INDUSTRIES 
	A-14
	Annealing Re-rolling and pickling of S.S. sheet
	2500 kg/ day as per affidavit.
	BG not submitted
	CTE on 26.09.2007 vide I.D.No. 23655
	CTO (R) applied on 13.10.2008 vide ID No. 27782.
CTO-R granted vide ID no. 18014 on 16.08.07 valid upto 28.07.08.
	 
	              07.01.2009
Ask the unit to file CGWA clearance and also to apply for renewal of consent.  Unit may also be asked to submit Bank Guarantee of Rs. 1 Lakh each under Water Act, 1974 & Air Act, 1981 valid upto 06.02.2010.
                25.02.09
Refer to CEO, DJB for opinion on the permision required for ground water extraction & reminder for  submit Bank Guarantee of Rs. 1 Lakh each under Water Act, 1974 & Air Act, 1981 valid upto 06.02.2010.
	Common letter issued to DJB on 06.04.09 & reply is yet to recived . 
Reply received on 15.04.09, Unit has asking more time to submit the BG as the letter was received on 09.04.09 and due to thje bank holidays BG not made.
	Final extension for submission of Bank Guarantee. Call on 28.05.2009

	49
	131
	WP
	RAVINDRA STEEL 
	B-60 GR 
	Pickling and Re-rolling of S.S. sheets.
	0.5 Tonne/ day as per affidavit.
	BG not submitted
	 
	CTO refused on 12.05.04 vide refusal no. 207.
CTO(R) on 14.03.2005 vide I.D. No. 12958.
Not applied for CTO(R) 
	 
	04.07.2008
SIT to inspect & report.
                17.11.2008
Issue notice for  closure since pH found to be 2 by SIT. Call on 03.12.2008
                07.01.2009
Put up administratively
               25.02.09
Call on 15.04.09.
	Letter issued. 
BG not submitted. Unit has informed that the market scenario is very bad that there is no business in the market. So that there is no flow of money in the market and requested that due to constrained of money, give some more time to submit BG. 
	Final extension for submission of Bank Guarantee. Call on 28.05.2009.

	50
	132
	WP
	YASPAL JINDAL 
	A-100/1
	Pickling of S.S. steel
	3-3.5tones/day
	BG not submitted
	 
	CTO Granted on 16.08.07 and valid upto 6.02.2010
	 
	               07.01.2009
Insist the unit to submit definite action plan wrt MPD 2021 and submit Bank Guarantee of Rs. 1 Lakh each under Water Act, 1974, Air Act, 1981 & HWM Rules valid upto 06.02.2010 .
               25.02.09
Issue reminder to the unit to submit definite action plan wrt MPD 2021 and submit Bank Guarantee of Rs. 1 Lakh each under Water Act, 1974, Air Act, 1981 & HWM Rules valid upto 06.02.2010 .
	Letter issued. Reply breceived on 16.04.2009. Unit has informed that they are undertake that unit is bound with rules & regulations of the pollution control. As far as concerned to the stoppage it is humbly submitted that they will plan the buisness activity depending upon the prevailing circumstances and guidelines of the government of delhi at that time. BG not submitted due to the market slowdown & requested for more time.
	Final extension for submission of Bank Guarantee and put up public notice for closure of the units falling under negative list of MPD-2021. Call on 28.05.2009

	51
	133
	WP
	B.P. INDUSTRIES 
	C-40/3
	re-rolling and pickling
	2 ton/day
	BG not submitted
	 
	CTO(R) granted on 3.8.07 and valid upto 6.2.2010.
CTO on 28.05.2004 vide I.D.No. 10673
	Authorization granted. Valid upto 07.08.2009.
	                07.01.2009
Insist the unit to submit definite action plan w.r.t MPD 2021 and to submit Bank Guarantee of Rs. 1 Lakh each under Water Act, 1974, Air Act, 1981 & HWM Rules valid upto 06.02.2010 .
              25.02.09
Issue reminder to the unit to submit definite action plan wrt MPD 2021 and submit Bank Guarantee of Rs. 1 Lakh each under Water Act, 1974, Air Act, 1981 & HWM Rules valid upto 06.02.2010 
	Letter issued. 
Reply breceived on 15.04.2009. Unit has informed that they are undertake that unit is bound with rules & regulations of the pollution control. As far as concerned to the stoppage it is humbly submitted that they will plan the buisness activity depending upon the prevailing circumstances and guidelines of the government of delhi at that time. BG under Water Act of Rs 1 lakh submited & for remaining BG unit seeks more time.
	Final extension for submission of Bank Guarantee and put up public notice for closure of the units falling under negative list of MPD-2021. Call on 28.05.2009

	52
	134
	WP
	DURGA ENTERPRISES 
	A-5 GR
	Re-rolling and Pickling of S.S. steel
	800Kg /day
	BG not submitted
	 
	CTO (R) on 18.07.06 vide consent order no. 16268 (valid upto 14.06.2009)
	Authorization granted. Valid upto 19.08.2009.
	                   07.01.2009
Issue reminder to the unit to submit Bank Guarantee of Rs. 50,000 each under Water Act, 1974, Air Act, 1981 & HWM Rules valid upto 06.02.2010. Ask the unit to submit an action plan for stoppage of the activity before 07.02.2010, which falls under negative list as per MPD-2021 and an action plan for new proposed activity in conformity with MPD-2021 on the vacant plot due to closure of present activity.
                25.02.09
Issue letter to the unit to submit definite action plan wrt MPD 2021 and final reminder to submit Bank Guarantee of Rs. 50000 each under Water Act, 1974, Air Act, 1981 & HWM Rules valid upto 06.02.2010 .
	Letter issued. Reply received on 13.04.2009, Unit has informed that they will definitely stop pickling activity before 06.02.2010 as this activity falls under the negative list of MPD-2021 & will do the new industrial activity which allows as per the MPD-2021. Unit will alos take prior permission from DPCC before starting the activity.BG not submitted due to the slow down in market, so BG will be submitted in June/July..
	Final extension for submission of Bank Guarantee and put up public notice for closure of the units falling under negative list of MPD-2021. Call on 28.05.2009

	53
	136
	WP
	BALAJI STEEL 
	C-58/3
	Annealing,Re-rolling and Pickling of S.S. steel
	1000 Kg/Day
	BG not submitted
	 
	CTO (R) applied on 13.10.2008 vide ID No. 27780.
CTO (R) on 19.06.06 vide consent order no. 15717 (valid upto 30.09.2008)
	Authorization granted. Valid upto 08.10.2009.
	             07.01.2009
Insist the unit to submit definite action plan w.r.t MPD 2021 and to submit Bank Guarantee of Rs. 1 Lakh each under Water Act, 1974, Air Act, 1981 & HWM Rules valid upto 06.02.2010 
             25.02.09
Issue reminder to the unit to submit definite action plan wrt MPD 2021 and submit Bank Guarantee of Rs. 1 Lakh each under Water Act, 1974, Air Act, 1981 & HWM Rules valid upto 06.02.2010 .
	Letter issued. Reply received on 13.04.2009. Unit has informed that they have already submited the definite action plan . BG not submitted due to the market slowdown & requested for more time.
	Final extension for submission of Bank Guarantee and put up public notice for closure of the units falling under negative list of MPD-2021. Call on 28.05.2009

	54
	137
	WP
	ADARSH STEEL 
	B-20 GR 
	Rolling & Pickling
	750 tonne/ annum as per affidavit.
	BG not submitted
	 
	CTO(R)  on 23.09.2008 vide I.D. No 27523.
	Authorization granted. Valid upto 07.08.2009.
	               07.01.2009
Insist the unit to file CGWA clearance and to submit Bank Guarantee of Rs. 1 Lakh each under Water Act, 1974, Air Act, 1981 & HWM Rules valid upto 06.02.2010. Also ask the unit to submit definite action plan w.r.t MPD 2021
              25.02.09
Refer to CEO, DJB for opinion on the permision required for ground water extraction & Issue reminder to the unit to submit definite action plan wrt MPD 2021 and submit Bank Guarantee of Rs. 1 Lakh each under Water Act, 1974, Air Act, 1981 & HWM Rules valid upto 06.02.2010 .
	Common letter issued to DJB on 06.04.09 & reply is yet to recived . 
Letter issued. Reply received on 13.04.2009, Unit has informed that they will definitely stop pickling activity before 06.02.2010 as this activity falls under the negative list of MPD-2021 & will do the new industrial activity which allows as per the MPD-2021. Unit will alos take prior permission from DPCC before starting the activity.BG not submitted due to the slow down in market, so BG will be submitted in June/July..
	Final extension for submission of Bank Guarantee and put up public notice for closure of the units falling under negative list of MPD-2021. Call on 28.05.2009

	55
	138
	WP
	ARTI INDUSTRIES 
	A-97/1 
	Annealing Re-rolling and pickling of S.S. sheet
	 2 tonne/ day as per affedavit.
	BG not submitted
	 
	CTO (R) applied on 30.09.2008 vide ID No. 27636.
CTO granted consent order no. 15032 on 06.06.06 and valid upto 25.07.08.
	Authorization granted. Valid upto 07.08.2009.
	               07.01.2009
Insist the unit to file CGWA clearance and to submit Bank Guarantee of Rs. 1 Lakh each under Water Act, 1974, Air Act, 1981 & HWM Rules valid upto 06.02.2010. Also ask the unit to submit definite action plan w.r.t MPD 2021
              25.02.09
Refer to CEO, DJB for opinion on the permision required for ground water extraction & Issue reminder to the unit to submit definite action plan wrt MPD 2021 and submit Bank Guarantee of Rs. 1 Lakh each under Water Act, 1974, Air Act, 1981 & HWM Rules valid upto 06.02.2010 .
	Common letter issued to DJB on 06.04.09 & reply is yet to recived . Letter issued to unit & no reply received.
Letter issued. Reply received on 13.04.2009, Unit has informed that they will definitely stop pickling activity before 06.02.2010 as this activity falls under the negative list of MPD-2021 & will do the new industrial activity which allows as per the MPD-2021. Unit will alos take prior permission from DPCC before starting the activity.BG not submitted due to the slow down in market, so seeking more time to submit the BG.
	Final extension for submission of Bank Guarantee and put up public notice for closure of the units falling under negative list of MPD-2021. Call on 28.05.2009

	56
	139a
	WP
	JAGDISH KUMAR 
	A-133
	Rolling & Pickling of SS sheets
	30 tonnes/month(as per inspection report)
	BG not submitted
	 
	CTO vide consent order no.  18006 granted on 03.08.07 and valid upto 21.03.08.
CTO (R) on 25.03.2008 vide I.D. No. 25298
	Authorization granted. Valid upto 07.08.2009.
	               07.01.2009
Insist the unit to file CGWA clearance and to submit Bank Guarantee of Rs. 1 Lakh each under Water Act, 1974, Air Act, 1981 & HWM Rules valid upto 06.02.2010. Also ask the unit to submit definite action plan w.r.t MPD 2021
              25.02.09
Refer to CEO, DJB for opinion on the permision required for ground water extraction & Issue reminder to the unit to submit definite action plan wrt MPD 2021 and submit Bank Guarantee of Rs. 1 Lakh each under Water Act, 1974, Air Act, 1981 & HWM Rules valid upto 06.02.2010 .
	Common letter issued to DJB on 06.04.09 & reply is yet to recived
Letter issued. Reply received on 13.04.2009. Unit has informed that they have already submited the definite action plan . BG not submitted due to the market slowdown & requested for more time.
	Final extension for submission of Bank Guarantee and put up public notice for closure of the units falling under negative list of MPD-2021. Call on 28.05.2009

	57
	140
	WP
	MAA BHAGWATI ROLLING 
	C-6
	Cold Re-rolling and pickling of S.S. Sheeets.
	2-3 tonnes/ day as per affidavit.
	BG not submitted
	CTE vide ID 12977 granted on 21.09.05 and expired on 20.09.06.
	CTO vide ID no.18010 granted on 03.08.07 and valid upto 27.09.09
	Applied on 28.09.2006
	               07.01.2009
Insist the unit to submit Bank Guarantee of Rs. 1 Lakh each under Water Act, 1974, Air Act, 1981 & HWM Rules valid upto 06.02.2010. Ask the unit to submit CGWA clearance and definite action plan w.r.t MPD 2021.
              25.02.09
Refer to CEO, DJB for opinion on the permision required for ground water extraction & Issue reminder to the unit to submit definite action plan wrt MPD 2021 and submit Bank Guarantee of Rs. 1 Lakh each under Water Act, 1974, Air Act, 1981 & HWM Rules valid upto 06.02.2010 .
	Common letter issued to DJB on 06.04.09 & reply is yet to recived . 
Letter issued. Reply received on 13.04.2009, Unit has informed that they will definitely stop pickling activity before 06.02.2010 as this activity falls under the negative list of MPD-2021 & will do the new industrial activity which allows as per the MPD-2021. Unit will alos take prior permission from DPCC before starting the activity.BG not submitted due to the slow down in market, so BG will be submitted in June/July..
	Final extension for submission of Bank Guarantee and put up public notice for closure of the units falling under negative list of MPD-2021. Call on 28.05.2009

	58
	142
	WP
	TIRUPATI INDUSTRIES 
	C-40/1
	Annealing Re-rolling and pickling of S.S. sheet
	2-3 ton/day
	BG not submitted
	 
	CTO (R)  vide consent order no. 17999 ngranted on 3.8.07 and valid upto 6.2.2010.
	Authorization granted. Valid upto 07.08.2009.
	                07.01.2009
Insist the unit to submit Bank Guarantee of Rs. 1 Lakh each under Water Act, 1974, Air Act, 1981 & HWM Rules valid upto 06.02.2010. Ask the unit to submit CGWA clearance and definite action plan w.r.t MPD 2021.
                 25.02.09
Refer to CEO, DJB for opinion on the permision required for ground water extraction & Issue reminder to the unit to submit definite action plan wrt MPD 2021 and submit Bank Guarantee of Rs. 1 Lakh each under Water Act, 1974, Air Act, 1981 & HWM Rules valid upto 06.02.2010 
	Common letter issued to DJB on 06.04.09 & reply is yet to recived .
Letter issued. Reply received on 13.04.2009, Unit has informed that they will definitely stop pickling activity before 06.02.2010 as this activity falls under the negative list of MPD-2021 & will do the new industrial activity which allows as per the MPD-2021. Unit will alos take prior permission from DPCC before starting the activity.BG not submitted due to the slow down in market, so BG will be submitted in June/July..
	Final extension for submission of Bank Guarantee and put up public notice for closure of the units falling under negative list of MPD-2021. Call on 28.05.2009

	59
	143
	WP
	BHAGWATI STEEL 
	B-25
	Pickling & Re-Rolling of SS sheets.
	600 kg/day
	BG not submitted
	CTO (R) applied on 15.10.2008 vide ID No. 27809.
	CTO (R) obtained on 19.06.2006 valid upto 15.08.2008
	 
	              07.01.2009
Insist the unit to submit definite action plan w.r.t MPD 2021 and Bank Guarantee of Rs. 50,000 each under Water Act, 1974, Air Act, 1981 & HWM Rules valid upto 06.02.2010. Ask the unit to submit CGWA clearance.
             25.02.09
Refer to CEO, DJB for opinion on the permision required for ground water extraction & Issue reminder to the unit to submit definite action plan wrt MPD 2021 and submit Bank Guarantee of Rs. 50000 each under Water Act, 1974, Air Act, 1981 & HWM Rules valid upto 06.02.2010 .
	Common letter issued to DJB on 06.04.09 & reply is yet to recived . 
Letter issued. Reply received on 13.04.2009, Unit has informed that they will definitely stop pickling activity before 06.02.2010 as this activity falls under the negative list of MPD-2021 & will do the new industrial activity which allows as per the MPD-2021. Unit will alos take prior permission from DPCC before starting the activity. Unit has asking more time to submit the BG as the letter wasreceived on 09.04.09 and due to the bank holidays BG not made.
	Final extension for submission of Bank Guarantee and put up public notice for closure of the units falling under negative list of MPD-2021. Call on 28.05.2009

	60
	144
	WP
	SHREE GANESH STEEL 
	A-80/1
	Pickling of SS sheets.
	1-2 tonnes / day as per affidavit.
	BG not submitted
	 
	CTO (R) vide consent order no. 18016 granted on 16.08.07. and valid upto 06.02.10
	Authorization granted. Valid upto 19.08.2009.
	              07.01.2009
Insist the unit to submit definite action plan w.r.t MPD 2021, Bank Guarantee of Rs. 50,000 each under Water Act, 1974, Air Act, 1981 & HWM Rules valid upto 06.02.2010 and CGWA clearance.
             25.02.09
Refer to CEO, DJB for opinion on the permision required for ground water extraction & Issue reminder to the unit to submit definite action plan wrt MPD 2021 and submit Bank Guarantee of Rs. 50000 each under Water Act, 1974, Air Act, 1981 & HWM Rules valid upto 06.02.2010 .
	Common letter issued to DJB on 06.04.09 & reply is yet to recived . Letter issued to unit & no reply received.
	Final extension for submission of Bank Guarantee and put up public notice for closure of the units falling under negative list of MPD-2021. Call on 28.05.2009

	61
	145
	WP
	AMERICAN SURGICAL 
	A-61 GR 
	Annealing, Re-rolling and Pickling. 
	1.5 tonne/ day as per inspection report.
	 
	 
	CTO (R) on 11.08.08 vide I.D. No. 26925.
	 
	               07.01.2009
Insist the unit to submit Bank Guarantee of Rs. 1 Lakh each under Water Act, 1974, Air Act, 1981 & HWM Rules valid upto 06.02.2010 and CGWA clearance. Ask the unit to submit definite action plan w.r.t MPD 2021. 
              25.02.09
Refer to CEO, DJB for opinion on the permision required for ground water extraction & Issue reminder to the unit to submit definite action plan wrt MPD 2021 and submit Bank Guarantee of Rs.1 lakh each under Water Act, 1974, Air Act, 1981 & HWM Rules valid upto 06.02.2010 
	Common letter issued to DJB on 06.04.09 & reply is yet to recived . 
Letter issued to unit, reply received on 16.04.09, Unit has informed that they are undertake that unit is bound with rules & regulations of the pollution control. As far as concerned to the stoppage it is humbly submitted that they will plan the buisness activity depending upon the prevailing circumstances and guidelines of the government of delhi at that time. More time asked to submit the BG as holidays are occuered.
	Final extension for submission of Bank Guarantee and put up public notice for closure of the units falling under negative list of MPD-2021. Call on 28.05.2009

	62
	150
	Wp
	RAJINDER JAIN 
	C-40
	Pickling of S.S. steel
	1000Kg/day
	 
	CTE Granted on 22.02.08 and valid upto 21.02.09
	CTO on 01.09.2008 vide I.D.No 27153.
	 
	               07.01.2009
Insist the unit to submit definite action plan w.r.t MPD 2021, Bank Guarantee of Rs. 1 Lakh each under Water Act, 1974, Air Act, 1981 & HWM Rules valid upto 06.02.2010 and CGWA clearance.
              25.02.09
Refer to CEO, DJB for opinion on the permision required for ground water extraction & Issue reminder to the unit to submit definite action plan wrt MPD 2021 and submit Bank Guarantee of Rs.1 lakh each under Water Act, 1974, Air Act, 1981 & HWM Rules valid upto 06.02.2010 
	Common letter issued to DJB on 06.04.09 & reply is yet to recived .
Letter issued to unit, reply received on 15.04.09, Unit has informed that they are undertake that unit is bound with rules & regulations of the pollution control. As far as concerned to the stoppage it is humbly submitted that they will plan the buisness activity depending upon the prevailing circumstances and guidelines of the government of delhi at that time. For submission of BG unit asked some more time.
	Final extension for submission of Bank Guarantee and put up public notice for closure of the units falling under negative list of MPD-2021. Call on 28.05.2009

	63
	151
	WP
	AKASH INDS
	B-22 GR 
	Pickling & Re-Rolling of SS sheets.
	 
	BG not submitted
	CTE applied on 11.09.2007 vide ID no. 23460
	 
	 
	                17.11.2008
Akash Inds to submit Bank Guarantee of Rs. 50,000 each under Water Act, 1974, Air Act, 1981 & HWM Rules valid upto 06.02.2010. Call on 03.12.2008
               07.01.2009
Put up administratively.
              25.02.09
Issue SCN to the unit for refusal of CTE, as the unit has submitted an undertaking in the Hon'ble High Court for stoppage of pickling activity and for not submitting fresh application for consent for the changed activity.
	Unit had applied for CTE on 11.09.2007 for pickling & re-rolling activity. As per MPD-2021 the activity of pickling is listed in the negative list. However, Unit has submitted a reply with an affidavit w.r.t. closure direction issued to Rajesh Singhal on 20.08.2008 & stating that no pickling activity take place at the said premises and only re-rolling activity is carried out.
Letter issued. No BG submitted, however a reply received on 17.12.2008 with an affidavit in compliance with Hon'ble High Court Order dated 05.12.2008. 
File submitted administratively and it was decided to place in CMC(O) on 3.3.09 & as decision ,SCN issued to unit for refusal of CTE appliction.No reply received .
SCN issued, Reply received on 13.04.09. Unit has informed that they have applied CTO for the changed activity on 26.12.08 vide ID no. 28499.
	Final extension for submission of Bank Guarantee and refuse Consent to Establish application as per procedure. Also SIT-I to inspect and report. Call on 28.05.2009

	64
	152a
	WP
	NARESH JAIN 
	A-64 GR 
	 
	 
	 
	 
	 
	 
	                 07.01.2009
Issue reminder to the unit to submit Bank Guarantee of Rs. 50,000 under Air Act, 1981 valid upto 06.02.2010 and also apply for renewal of consent.
              25.02.09
Issue final reminder to the unit to submit Bank Guarantee of Rs. 50,000 under Air Act, 1981 valid upto 06.02.2010 and also apply for renewal of consent.
	Letter issued.
No reply received..
	Call for personal hearing on 28.05.2009 at 5.10 PM.

	65
	152b
	WP
	Rishab Enterprises
	A-64 GR 
	 
	 
	 
	CTE applied on 28.12.2007vide ID no. 24584.
	 
	 
	             25.02.09
Refuse consent to establish. Issue SCN u/s 31(A) of the Air Act and u/s 33(A) of the Water Act for closure. Call on 15.04.2009 
	SCN & Refusal letter issued & returned back undeleivered.
Letter pasted. No reply received.
	Call on 28.05.2009

	66
	1
	WP
	Ambica Steels
	B10/9,Group
	Pickling
	40 tonnes / month (as per inspection report)
	Revalidated BG of Rupees 01 Lakh each under Air, Water & HWM submitted (valid upto 06.02.2010)
	Applied CTE on 19.11.2007 vide I.D. No. 24246. 
	Applied CTO on 31.03.2006 vide I.D. No. 17987. 
	Applied on 31.03.2006 vide I.D. No. 2613.
	                  07.01.2009
Ask the unit to file affidavit along with photographs for correction of deficiencies noted by SIT. Call on 25.02.2009
                 25.02.2009
Issue final reminder to the unit to submit photographs for correction of deficiencies, otherwise it will face penal action. Call on 15.04.2009
	Letter issued.
Reply received on 13.04.09 along with the photographs.
	No action.

	67
	3
	WP
	Ram Steel
	C-13(Backside)
	Annealing, Re-Rolling & Pickling of SS Sheets.
	1 tonne (as per inspection report)
	BG submitted on 20.12.2007
	CTE on 12.10.2007 vide I.D. No. 23898.
	CTO on 30.12.2004 vide I.D. No. 12379.
CTO on 30.05.2008 vide I.D. No. 25911
	Applied on 30.10.2004 & 02.08.2006 vide I.D. No. 2251 & 3079.
	             07.01.2009
Insist the unit to file CGWA clearance. Call on 25.02.2009.
             25.02.09
Refer to CEO, DJB for opinion on the permision required for ground water extraction.Call on 15.04.2009
	Common letter issued to DJB on 06.04.09 & reply is yet to recived . 
	Call on 28.05.2009

	68
	5
	WP
	National Industries India (Legal)
	A - 102/2
	Annealing, Re-rolling & Pickling
	1 tonne (as per inspection report)
	BG of Rupees Three Lakh filed on 11.02.2008.
	CTO(R) obtained on 14.06.2006. valid upto 25.07.2008.
CTO ( R) applied on 03.12.2008 vide ID no. 28274
	 
	Applied for renewal for authorization on 02.08.2006 vide I.D. No. 3083.
	          07.01.2009
Issue notice to the unit for forfeiture of the Bank Guarantee under Water Act, 1974. Call on 25.02.2009
          25.02.09
Ask the unit to file fresh adequacy report clearly indicating pH levels from approved agencies of DPCC. Call on 15.04.2009
	Letter issued.
Reply received on 20.04.09, Uit has informed that they have already submited the adequacy report along with analysis report with consent application for Renewal.
	Ask the unit to file fresh adequacy report of ETP from empanelled consultant of DPCC as the earlier report is of more than five years old. Call on 28.05.2009

	69
	6
	WP
	Harihant Steel
	C-10/2
	Pickling of SS Sheets
	2 tonnes per day
	BG of Rs 3 Lakhs submitted.
	Obtained CTE on 21.9.05 valid up to 20.9.2006
	CTO on 03.05.2007 vide I.D. No. 21207.
	Applied on 03.5.07 with ID No. 1280
	             07.01.2009
Call on 25.02.2009 with CGWA clearance.
              25.02.09
Call on 15.04.09.
	Final reminder  issued.
Reply submitted on  24.09.2008.
Permission from CGWA not submitted.Unit has informed that they have already submitted the application for permission. As soon as the permission is received the same shall be submitted.
	Call on 28.05.2009

	70
	7
	WP
	Parag Metal Udyog
	C-36/2
	Pickling , Annealing and Cold Re-Rolling of S.S.Sheets
	4 tonnes/day (as per inspection report)
	BG of Rs. 3 Lakhs submitted.
	CTE obtained on 09.06.2003 (valid upto 27.03.2004).
	CTO on 30.06.2004 vide I.D. No. 10910.
 CTO on 18.07.2007 vide I.D. No. 22500.
	Applied for renewal of authorization on 18.09.2006 vide I.D. No. 3617.
	              07.01.2009
SIT to inspect and report. Call on 25.02.2009
                   25.02.09
Ask the unit to provide the adequate stack height and file permission from CGWA .Also ask the unit to correct deficiencies listed below:
(i) Collection tanks were filled with soil which are needs to be covered with concrete permanent slab.Call on 15.04.2009 
	Letter issued.
Reply received on 15.04.09 along with correction of SIT deficiencies & CGWA permission.
	Ask the unit to submit an affidavit to the effect that adequate stack height has been provided with DG set and also submit photographs covering the tank with concrete slab. Call on 28.05.2009

	71
	8
	WP
	U-like Exports
	C-34
	Pickling, Annealing & Re-Rolling  of SS Sheets and mfg. of SS utensils (w/o buffing)
	0.5 tonne (as per affidavit)
	BG of Rs. 3 Lakhs submitted on 16.05.2008 valid upto 06.02.2010.
	CTE obtained on 28.09.2005 valid upto 27.09.2006.
	CTO on 27.06.2006 vide I.D. No. 18619.
	Applied on 04.05.2007 vide I.D. No. 4284.
	          07.01.2009
Insist the unit to file CGWA clearance. Call on 25.02.2009.
            25.02.09
Refer to CEO, DJB for opinion on the permision required for ground water extraction.Call on 15.04.2009
	Common letter issued to DJB on 06.04.09 & reply is yet to recived . 
Letter received from the unit on 15.04.09 regarding definite action plan. Unit has informed that they are undertake that unit is bound with rules & regulations of the pollution control. As far as concerned to the stoppage it is humbly submitted that they will plan the buisness activity depending upon the prevailing circumstances and guidelines of the government of delhi at that time
	Call on 28.05.2009

	72
	9
	WP
	Delhi Job Works
	B-6, Group
	Pickling  and cold Re -Rolling of S.S.Sheets
	3.5 tonne (as per inspection report)
	BG of Rs. 03 Lakhs submitted.
	CTO(R) obtained on 14.06.2006 vide consent order no. 16255. Valid upto 24.08.2008.
	CTO (R) applied on 22.09.2008 vide ID No. 27474.
CTO(R) obtained on 14.06.2006 vide consent order no. 16255. Valid upto 24.08.2008.
	Applied for renewal of authorization on 26.07.2006 vide I.D. No. 2952.
	          07.01.2009
Call on 25.02.2009
             25.02.09
Issue  authorization upto 06.02.2010. Unit to file action plan for closing down the unit  by 06.02.2010.Call on 15.04.2009
	Authorization issued.
Letter issued.Reply received on 22.04.09, Unit has informed that they are undertake that unit is bound with rules & regulations of the pollution control. As far as concerned to the stoppage it is humbly submitted that they will plan the buisness activity depending upon the prevailing circumstances and guidelines of the government of delhi at that time
	Public notice to be issued for closure of units, by 06.02.2010, engaged in the activities falling under negative list as per MPD 2021.

	73
	10
	WP
	G. S. Enterprises
	A-74/2
	Re-rolling & Pickling
	800 kg/day as per I/R
	BG of Rs. 3 Lakhs submitted.
	CT(R) obtained on 18.07.2006 (valid upto 13.06.2009)
	CTO(R) obtained on 18.07.2006 (valid upto 13.06.2009)
	Applied on 02.08.2006
	         07.01.2009
Call on 25.02.2009 with CGWA clearance.
            25.02.09
Refer to CEO, DJB for opinion on the permision required for ground water extraction.Call on 15.04.2009
	Common letter issued to DJB on 06.04.09 & reply is yet to recived . 
	Call on 28.05.2009

	74
	11
	WP
	Ganga Industries
	A-113, Group
	Re-Rolling & Pickling of S.S.Sheets
	400 Kg (as per inspection report)
	Submitted 3 lakhs on 14.5.08 valid up to 06.02.2010
	CTO(R) obtained. Valid upto 08.08.2008.
CTO(R) obtained on 14.06.2006 vide consent order no. 15089 (valid upto 08.08.08)
	CTO (R) applied on 29.09.2008 vide ID No. 27615.
CTO(R) obtained. Valid upto 08.08.2008.
CTO(R) obtained on 14.06.2006 vide consent order no. 15089 (valid upto 08.08.08)
	Applied for renewal for authorization on 09.08.2006 vide I.D. No. 3243.
	          07.01.2009
Insist the unit to file CGWA permission. Ask the unit to provide accoustic enclosure and adequate stack height with the D.G. Set. Call on 25.02.2009.
           25.02.09
Ask the unit to dispose off D.G. Set which is not in use and refer to CEO, DJB for opinion on the permision required for ground water extraction.Call on 15.04.2009
	Common letter issued to DJB on 06.04.09 & reply is yet to recived . Letter issued to unit & no reply received.
	Ask the unit to file confirmation on affidavit about disposal of D.G. Set. Call on 28.05.2009

	75
	12
	WP
	Ganpati Steels
	A-47
	Re-Rolling and Pickling of SS Sheets.
	2-2.5 tonnes (as per inspection report)
	BG of Rs. 3 Lakhs submitted.
	Consent obtained two times
	CTO(R)  obtained on 18.07.2006 vide consent order no. 16267. Valid upto 14.06.2009.
	Applied for renewal of authorization on 02.08.2006 vide I.D. No. 3071.
	          07.01.2009
Call on 25.02.2009 with CGWA clearance.
25.02.09
Refer to CEO, DJB for opinion on the permision required for ground water extraction.Call on 15.04.2009
	Common letter issued to DJB on 06.04.09 & reply is yet to recived .
	Call on 28.05.2009

	76
	13
	WP
	Hem Chand Nand Lal.
	B-76
	Re-rolling, annealing  & Pickling
	1 tonne (as per inspection report)
	Submitted 3 lakhs on 13.5.08 valid upto 06.02.2010
	CTO(R) obtained on 13.04.2006 vide consent order no. 14015 (valid upto 19.03.2009)
	CTO(R) obtained on 13.04.2006 vide consent order no. 14015 (valid upto 19.03.2009)
	Applied for renewal of authorization on 24.08.2006 vide I.D. No. 3444.
	             07.01.2009
Call on 25.02.2009 with CGWA clearance.
            25.02.09
Refer to CEO, DJB for opinion on the permision required for ground water extraction.Call on 15.04.2009
	Common letter issued to DJB on 06.04.09 & reply is yet to recived . 
	Call on 28.05.2009

	77
	14
	WP
	J.N. Steel
	A-111/1
	Pickling , Annealing and Cold Re-Rolling of S.S.Sheets
	5 tonnes (as per inspection report)
	BG of Rs. 3 Lakhs submitted.
	CTO (R) obtained on 19.06.2006 vide consent order no. 15667. Valid upto 30.09.2008.
	CTO (R) obtained on 19.06.2006 vide consent order no. 15667. Valid upto 30.09.2008.
Applied for CTO (R) on 19.11.2008 vide I.D. No. 28135.
	Applied for renewal of authorization on 09.08.2006 vide I.D. No. 3244.
	Call on 07.01.2009
        07.01.2009
Insist on CGWA clearance. And also ask the unit to submit an application for renewal of consent
          25.02.09.
Refer to CEO, DJB for opinion on the permision required for ground water extraction.Call on 15.04.2009
	Common letter issued to DJB on 06.04.09 & reply is yet to recived .
	Call on 28.05.2009

	78
	15
	WP
	Malhotra Industries
	 B - 20
	 Rolling and pickling
	7-8 tonnes / month (as per inspection report)
	BG submitted on 10.04.2008.
	CTO(R) obtained on 18.07.2006 vide consent order no. 16261 (valid upto 02.07.2009).
	CTO(R) obtained on 18.07.2006 vide consent order no. 16261 (valid upto 02.07.2009).
	Applied for renewal for authorization on 26.10.2006 vide I.D. No. 3969.
	         07.01.2009
Ask the unit to raise the floor height at the gate of picking area in order to avoid spillage of pickling waste and road. Also ask the unit to provide  acosutic enclsoure and adequate stack height with the D.G. Set. Call on 25.02.2009
        25.02.09
Ask the unit to submit an affidavit for non operation of the DG set and also remove the DG set immediately. Call on 15.04.2009
	Letter issued. Reply received on 16.04.09 along with an affidavit that DG set is defunct & non-operational & will be sold as & when some buyers come.
	Ask the unit to dipose off D.G. Set and submit an affidavit in this regard by 28.05.2009. Call on 28.05.2009

	79
	16
	WP
	Pradeep Industries
	A-31
	Annealing, Re-Rolling and Pickling of SS Sheets.
	1.5 tonnes (as per affidavit)
	Submitted 3 lakhs on 14.5.08 valid up to 06.02.2010
	CTO(R) obtained on 06.06.2006 vide consent order no. 15288 (valid upto 01.08.2008).
Applied for CTO(R) on 03.09.2008 vide I.D. No. 27183.
	CTO(R) obtained on 06.06.2006 vide consent order no. 15288 (valid upto 01.08.2008).
Applied for CTO(R) on 03.09.2008 vide I.D. No. 27183.
	Applied for renewal of authorization on 26.07.2006 vide I.D. No. 2945.
	           07.01.2009
Ask the unit to raise the floor height at the gate of picking area in order to avoid spillage of pickling waste and road. Call on 25.02.2009
     25.02.09
Ask the unit to submit an action plan for stoppage of the activity before 07.02.2010, which falls under negative list as per MPD-2021 and an action plan for new proposed activity in conformity with MPD-2021 on the vacant plot due to closure of present activity.Call on 15.04.2009
	Letter issued. No reply received
	Public notice to be issued for closure of units, by 06.02.2010, engaged in the activities falling under negative list as per MPD 2021.

	80
	17
	WP
	Shree Krishna Metal Industries
	B-22/2
	Re-Rolling & Pickling of S.S.Sheets
	1 tonnes (as per inspection report)
	BG of Rs. 3 Lakhs submitted.
	CTO (R) obtained on 11.05.2006 . Valid upto 25.07.2008.
Applied for CTO(R) on 20.08.2008 vide I.D. No. 27010.
	CTO (R) obtained on 11.05.2006 . Valid upto 25.07.2008.
Applied for CTO(R) on 20.08.2008 vide I.D. No. 27010.
	Applied for renewal for authorization on 26.07.2006 vide I.D. No. 2951.
	             07.01.2009
Call on 25.02.2009
            25.02.09
Ask the unit to submit an action plan for stoppage of the activity before 07.02.2010, which falls under negative list as per MPD-2021 and an action plan for new proposed activity in conformity with MPD-2021 on the vacant plot due to closure of present activity.Call on 15.04.2009
	Letter issued. 
Reply breceived on 15.04.2009. Unit has informed that they are undertake that unit is bound with rules & regulations of the pollution control. As far as concerned to the stoppage it is humbly submitted that they will plan the buisness activity depending upon the prevailing circumstances and guidelines of the government of delhi at that time
	Public notice to be issued for closure of units, by 06.02.2010, engaged in the activities falling under negative list as per MPD 2021.

	81
	18
	WP
	Shri Ram Industries
	A-132, Group
	Re-rolling and pickling of SS sheets
	1 T/day as per affidavit
	BG submitted.
	CTO(R) obtained on 11.05.2006. Valid upto 31.07.2008.
Applied for CTO(R) on 12.09.2008 vide I.D. No. 27311
	CTO(R) obtained on 11.05.2006. Valid upto 31.07.2008.
Applied for CTO(R) on 12.09.2008 vide I.D. No. 27311
	Applied for renewal for authorizatoin on 28.07.2006 vide I.D. No. 3000.
	           07.01.2009
Insist the unit to submit an action plan for stoppage of the activity before 07.02.2010, which falls under negative list as per MPD-2021 and an action plan for new proposed activity in conformity with MPD-2021 on the vacant plot due to closure of present activity. Call on 25.02.2009.
            25.02.09
Ask the unit to submit an action plan for stoppage of the activity before 07.02.2010, which falls under negative list as per MPD-2021 and an action plan for new proposed activity in conformity with MPD-2021 on the vacant plot due to closure of present activity.Call on 15.04.200
	Letter issued. 
Reply breceived on 15.04.2009. Unit has informed that they are undertake that unit is bound with rules & regulations of the pollution control. As far as concerned to the stoppage it is humbly submitted that they will plan the buisness activity depending upon the prevailing circumstances and guidelines of the government of delhi at that time
	Public notice to be issued for closure of units, by 06.02.2010, engaged in the activities falling under negative list as per MPD 2021.

	82
	21
	WP
	Goyal Steel Industries
	A-35
	Annealing, Re-Rolling & Pickling of SS Sheets.
	Found pickling closed.
2 - 3 tonnes/day
	Submitted 3 lakhs on 13.5.08 valid upto 06.02.2010
	CTE on 22.10.2007 vide I.D. No. 23980.
	CTO refused on 17.05.2004 vide refusal no. 228.
Applied for CTO on 14.03.2005 vide I.D .No. 12968.
Not applied for CTO.
	Applied on 08.07.2004.
	           07.01.2009
Insist the unit to file CGWA clearance. Call on 25.02.2009.
            25.02.09
Refer to CEO, DJB for opinion on the permision required for ground water extraction.Call on 15.04.2009
	Common letter issued to DJB on 06.04.09 & reply is yet to recived .
	Call on 28.05.2009

	83
	23
	WP
	Kesho Ram Industries
	A-100/6
	Re-Rolling & Pickling of SS Sheets.
	1 tonne (as per inspection report)
	BG of Rs. 75000 under Air Act, Water Act & HWM Rules submitted.
	CTE on 23.10.2007 vide I.D. No. 24008.
	Applied for CTO on 15.03.2005 vide I.D. No. 12998.
CTO( R) applied on 01.01.09 vide ID no. 29415.
	Applied for renewal on 26.07.2006 vide I.D. No. 2944.
	          07.01.2009
Insist the unit to file CGWA clearance. Ask the unit to apply for consent to operate. Call on 25.02.2009.
           25.02.09
Refer to CEO, DJB for opinion on the permision required for ground water extraction.Call on 15.04.2009
	Common letter issued to DJB on 06.04.09 & reply is yet to recived .
	Call on 28.05.2009

	84
	25
	WP
	Narender Industries
	C-58/4
	Annealing, Re-Rolling & Pickling of SS Sheets.
	01 tonne/day (as per inspection report)
	BG of Rs. 50000 under Air Act, Water Act & HWM Rules submitted instead of One Lakh each under all three acts.
	CTE on 24.10.2007 vide I.D. No. 24015.
	CTO (R) on 05.09.2005 vide I.D. No. 16279. 
CTO (R ) applied on 02.02.2009 under Orange category vide ID no. 28863. 
	Applied for renewal of authorization on 22.08.2006 vide I.D. No. 3405.
	           07.01.2009
Time allowed for submission of Bank Guarantee . Call on 25.02.2009
        25.02.09
Time allowed till 15.04.2009, to file Bank Guarantee, as a last opportunity failing which action will be taken.Call on 15.04.2009
	Unit has submited  a letter on 30.03.2009 & informed that the unit has changed from proprietership to partnership. copy of deed enclosed herewith
Letter for BG issued. BG submitted of Rs. 50000 each under Air , Water, & HWM rules on 15.04.09.
	Call on 28.05.2009

	85
	26
	WP
	Pooja Enterprises
	D-26
	Re-Rolling & Pickling of SS Sheets.
	2-3 tonnes (as per affidavit)
	BG of Rs. 3 Lakhs submitted.
	Applied for CTE on 22.10.2007 vide I.D. No. 23993.
	Applied for CTO on 25.06.2004 & 20.08.2007. 
	Applied for renewal of authorization on 01.08.2006 vide I.D. No. 3028.
	      07.01.2009
Call on 25.02.2009 with CGWA clearance.
25.02.09
Refer to CEO, DJB for opinion on the permision required for ground water extraction.Call on 15.04.2009
	Common letter issued to DJB on 06.04.09 & reply is yet to recived .
	Call on 28.05.2009

	86
	29
	WP
	Shiva Steels
	A-102/6
	Re-rolling & Pickling
	450 Kg (as per affidavit)
	BG of Rs. 50000 under Air Act, Water Act & HWM Rules submitted valid upto 06.02.2010.
	CTE on 04.08.2008 vide I.D. No. 26867
	CTO on 21.06.2004 vide I.D. No. 10834.
CTO on 03.07.2007 vide I.D. No. 22132.
	Applied for renewal for authorization on 02.08.2006 vide I.D. No. 3081.
	        07.01.2009
Call on 25.02.2009 with CGWA clearance.
        25.02.09
Refer to CEO, DJB for opinion on the permision required for ground water extraction.Call on 15.04.2009
	Common letter issued to DJB on 06.04.09 & reply is yet to recived .
	Call on 28.05.2009

	87
	30
	WP
	Laxmi Narain Steel Rollers
	B-32/2
	Re-Rolling & Pickling of S.S.Sheets
	03 tonnes / month (as per HWM application)
	BG of Rs. 01 Lakh each submitted under Air, Water & HWM Rules valid upto 06.02.2010.
	CTE on 10.04.2008 vide I.D. No. 25451
	CTO on 11.05.2004 vide I.D. No. 10524.
CTO on 17.08.2007 vide I.D. No. 23163.
	Applied for renewal of authorization on 02.08.2006 vide I.D. No. 3076.
	        07.01.2009
Call on 25.02.2009 with CGWA clearance.
          25.02.09
Refer to CEO, DJB for opinion on the permision required for ground water extraction.Call on 15.04.2009
	Common letter issued to DJB on 06.04.09 & reply is yet to recived .
	Call on 28.05.2009

	88
	31
	WP
	Arora Steel
	C- 7/2 (Backside portion)
	Pickling of SS sheets
	2-3 tonnes (as per inspection report)
	BG of Rs. 01 Lakh each submitted.under Ait, Water & HWM valid upto 06.02.2010.
	CTE on 26.05.2008 vide I.D. No. 25842.
	CTO on 04.10.2005 vide I.D. No. 16649.
Not aplied for CTO(R).
	Applied on 04.10.2005 & 01.08.2006 vide I.D. No. 2505 & 3029 respectively.
	          07.01.2009
Call on 25.02.2009 with CGWA clearance.
              25.02.09
Refer to CEO, DJB for opinion on the permision required for ground water extraction.Call on 15.04.2009
	Common letter issued to DJB on 06.04.09 & reply is yet to recived .
	Call on 28.05.2009

	89
	32
	WP
	Durga Industries
	A-99/4
	Re-Rolling and Pickling of SS Sheets.
	800 Kg (as per affidavit)
	BG of Rs. 75000.00 each submitted.under Air, Water, & HWM valid upto 06.02.2010.
	 CTE Applied on 26.03.2008 vide I.D. No. 25317
	CTO(R) on 12.08.2005 vide I.D. No. 16044.
Not aplied for CTO(R).
	Applied for renewal of authorization on 26.07.2006 vide I.D. No. 2949.
	         07.01.2009
Call on 25.02.2009 with CGWA clearance.
         25.02.09
Refer to CEO, DJB for opinion on the permision required for ground water extraction.Call on 15.04.2009
	Common letter issued to DJB on 06.04.09 & reply is yet to recived .
	Call on 28.05.2009

	90
	35
	WP
	Singhal Steel Udyog
	C-12/1
	Re-Rolling & Pickling of SS Sheets.
	2 tonnes (as per inspection report)
	BG of Rs. 01 Lakh each submitted.under Ait, Water & HWM valid upto 06.02.2010.
	CTE on 26.05.2008 vide I.D. No. 25841.
	CTO(R) on 01.06.2007 vide I.D. No. 21627.
	Applied for renewal of authorization on 18.08.2006 for 3331.
	          07.01.2009
Call on 25.02.2009 with CGWA clearance.
     25.02.09
Refer to CEO, DJB for opinion on the permision required for ground water extraction.Call on 15.04.2009.
              15.4.09
Issue SCN for closure as unit was discharging untreated waste water into drain. Call on 26.05.2009
	Common letter issued to DJB on 06.04.09 & reply is yet to recived .
	Call on 28.05.2009

	91
	36
	WP
	Aggarwal Industries
	A-95/5
	Annealing, Cold Re-Rolling and Pickling of S.S.Sheets
	3 tonnes /day as per affidavit
	BG of Rs. 50000 each under Air Act, Water Act & HWM Rules valid upto 06.02.2010.
	CTE on 10.04.2008 vide I.D. No. 25450
	CTO(R) on 27.02.2007 vide I.D. No. 20735.
	Applied for renewal of authorization on 03.10.2006 vide I.D. No. 3750.
	         07.01.2009
Call on 25.02.2009 with CGWA clearance.
        25.02.09
Refer to CEO, DJB for opinion on the permision required for ground water extraction.Call on 15.04.2009
	Common letter issued to DJB on 06.04.09 & reply is yet to recived .
	Call on 28.05.2009

	92
	37
	WP
	Deepak Industries
	A-83/5
	Annealing & Pickling of S.S.Sheets
	1 tonne (as per affidavit)
	Submitted 3 lakhs on 14.5.08 valid up to 06.02.2010
	CTE on 19.03.2008 vide I.D. No. 25261
	CTO (R) applied on 13.10.2008 vide ID. No. 27781.
CTO on 15.7.2002 and again 26.07.2005 vide I.D. No. 15691.
	Applied for renewal of authorization on 02.08.2006 vide I.D. No. 3060.
	         07.01.2009
Insist the unit to file CGWA permission. Also unit may be asked to shift their water tank and oil storage tank inside the premises. Proper water connection and chemical mixing device in the chemical dosing tank should be installed and fresh floor should be constructed in the picking area. Call on 25.02.2009.
          25.02.09
Refer to CEO, DJB for opinion on the permision required for ground water extraction.Call on 15.04.2009. And ask the unit to file an affidavit for having shifted the tank.Call on 15.04.2009
	Letter issued. No reply received.
	Ask the unit to file an affidavit to the effect that they have shifted their water tank and oil storage tank inside the premises

	93
	38
	WP
	Golden Steel Industry
	 A-103/3
	Annealing, hot-rolling and pickling
	5-6 tonnes (as per inspection report)
	Submitted 3 lakhs on 13.5.08 valid upto 06.02.2010
	Applied for CTE on 18.03.2008 vide I.D. No. 25222.
	Applied for CTO (R) on 18.11.2008 vide I.D.No. 28116.
	Applied for renewal of authorization on 26.09.2006 vide I.D. No. 3695.
	         07.01.2009
The following deficiencies were observed during the inspection by SIT:-
(i) Install proper working platform on ETP and install proper mixing device on casting dosing tank.
(ii) Repair the stack attached with annealing furnace.
(iii) Acoustic enclosure of D.G. Set should also be repaired.
Ask the unit to correct the deficiencies noted by SIT and submit an affidavit in this regard. Also insist the unit to file CGWA permission and apply for renewal of consent. Call on 25.02.2009.
          25.02.09
Ask the unit to submit an affidavit to the effcet that the deficiencies observed by SIT have been rectified and  refer to CEO, DJB for opinion on the permision required for ground water extraction.Call on 15.04.2009
	Common letter issued to DJB on 06.04.09 & reply is yet to recived. Letter issued to the unit, reply awaited.
	Issue final reminder for submission of an affidavit to the effcet that the deficiencies observed by SIT have been rectified.Call on 28.05.2009

	94
	39
	WP
	R.K. Steel
	A-12, Group
	Re-Rolling & Pickling of S.S.Sheets
	400 Kg/day (as per lsit of raw material)
	Submitted 1.5 lakhs on 13.5.08 valid upto 06.02.2010
	Applied for CTE on 18.03.2008 vide I.D. No. 25221
	CTO on 09.09.2004 vide I.D. No. 11588. applied for CTO.on 13-04-09
	Applied for renewal of authorization on 02.08.2006 vide I.D. No. 3059.
	          07.01.2009
Call on 25.02.2009
            25.02.09
Ask the unit to submit an action plan for stoppage of the activity before 07.02.2010, which falls under negative list as per MPD-2021 and an action plan for new proposed activity in conformity with MPD-2021 on the vacant plot due to closure of present activity.Call on 15.04.2009
	Letter issued. No reply received.
	Public notice to be issued for closure of units, by 06.02.2010, engaged in the activities falling under negative list as per MPD 2021.

	95
	40
	WP
	Shree Balaji
	A-88
	Re-rolling & Pickling
	1 tonne / month (as per inspection report)
	BG of Rs. 03 Lakhs submitted under Air, Water, & HWM valis upto 06.02.2010.
	CTE on 27.03.2008 vide I.D. No. 25332
	CTO (R) on 24.08.2007 vide I.D. No. 23268.
	Applied for renewal for authorization on 02.08.2006 vide I.D. No. 3082.
	          07.01.2009
Insist the unit to file CGWA clearance. Call on 25.02.2009.
       25.02.09
Refer to CEO, DJB for opinion on the permision required for ground water extraction.Call on 15.04.2009
	Common letter issued to DJB on 06.04.09 & reply is yet to recived.
	Call on 28.05.2009

	96
	42
	WP
	Sidhartha Industries
	B-31, Group
	Re- Rolling & Pickling
	1.5 tonnes ( as per inspection report)
	BG of Rs. 01 Lakh each submitted under Air, Water & HWM Rules valid upto 06.02.2010.
	CTE on 06.05.2008 vide I.D. No. 25667.
	CTO(R) on 25.07.2005 vide I.D. No. 15574.
CTO(R ) applied under Orange category on 09.02.2009 vide ID no. 28940.
	Applied for renewal of authorization on 17.10.2006 vide I.D. No. 3927.
	         07.01.2009
Call on 25.02.2009 with CGWA clearance.
    25.02.09
Refer to CEO, DJB for opinion on the permision required for ground water extraction.Call on 15.04.2009
	Common letter issued to DJB on 06.04.09 & reply is yet to recived.
	Call on 28.05.2009

	97
	44
	WP
	Bhawani Industries
	B-62/1
	Re-rolling & Pickling
	2 tonnes (as per inspection report)
	Submitted 3 lakhs on 14.5.08 valid up to 06.02.2010
	CTE on 14.03.2008 vide I.D. No. 25205.
	CTO(R) obtained on 20.09.2004 vide consent no. 11747. Valid upto 13.08.2008.
CTO ( R) applied on 18.12.2008 vide ID no. 28420
	Applied for renewal for authorization on 28.07.2006 vide I.D. No. 2995.
	            07.01.2009
Insist the unit to file CGWA clearance. Call on 25.02.2009.
           25.02.09
Refer to CEO, DJB for opinion on the permision required for ground water extraction.Call on 15.04.2009
	Common letter issued to DJB on 06.04.09 & reply is yet to recived.
	Call on 28.05.2009

	98
	45
	WP
	Goodwill Industries
	C-44
	Annealing & Pickling
	15-20 tonnes / month (as per inspection report)
	BG of Rs. 75000 under Air Act, Water Act & HWM Rules submitted valid upto 06.02.2010.
	CTE on 10.04.2008 vide I.D. No. 25464.
	CTO obtained on 01.04.2005. Valid upto 30.09.2005. CTO (R) on 07.12.2006 vide I.D. No. 20117. 
	Applied for renewal of authorization on 18.08.2006 vide I.D. No. 3368.
	               07.01.2009
Call on 25.02.2009 with CGWA clearance.
           25.02.09
Refer to CEO, DJB for opinion on the permision required for ground water extraction.Call on 15.04.2009
	Common letter issued to DJB on 06.04.09 & reply is yet to recived.
	Call on 28.05.2009

	99
	46
	WP
	Guru Faquir Metal Udyog
	C-37
	Pickling , Annealing and Cold Re-Rolling of S.S.Sheets
	1 tonne ( as per affidavit)
	BG of Rs. 3 Lakhs submitted.
	Applied for CTE on 24.03.2008 vide I.D. No. 25291
	CTO on 25.08.2006 vide I.D. No. 19135.
	Applied on 25.08.2006 vide I.D. No. 3453.
	           07.01.2009
Call on 25.02.2009 with CGWA clearance.
        25.02.09
Refer to CEO, DJB for opinion on the permision required for ground water extraction.Call on 15.04.2009
	Common letter issued to DJB on 06.04.09 & reply is yet to recived.
	Call on 28.05.2009

	100
	47
	WP
	Guru Prem Industries
	A-101
	Pickling , Annealing and cold Re-Rolling  of S.S.Sheets 
	4 tonnes (as per inspection report)
	BG of Rs. 01 Lakh submitted each under Air, Water & HWM valid upto 06.02.2010..
	CTE on 27.03.2008 vide I.D. No. 25330
	CTO on 08.04.2005 vide I.D. No. 13493.
Applied for CTO on 02.12.2008 vide I.D. No. 28269
	Applied on 08.04.2005 vide I.D. No. 2381.
	           07.01.2009
Insist the unit to file CGWA clearance. Ask the unit to apply for consent to operate. Call on 25.02.2009.
     25.02.09
Refer to CEO, DJB for opinion on the permision required for ground water extraction.Call on 15.04.2009
	Common letter issued to DJB on 06.04.09 & reply is yet to recived.
	Call on 28.05.2009

	101
	48
	WP
	Jain Steel
	B-14, Group
	Pickling and cold Re - Rolling of S.S.Sheets
	01 tonne (as per affidavit)
	Submitted 3 lakhs on 14.5.08 valid up to 06.02.2010
	CTE on 28.03.2008 vide I.D.No. 25342.
	CTO on 07.02.2005 vide I.D. No. 12572.
Not applied for CTO.
	Applied for renewal of authorization on 24.08.2006 vide I.D. No. 3443
	        07.01.2009
File be submitted administratively. 
             25.02.09
Refer to CEO, DJB for opinion on the permision required for ground water extraction.Call on 15.04.2009
	Common letter issued to DJB on 06.04.09 & reply is yet to recived.
	Call on 28.05.2009

	102
	49
	WP
	Kamal Steel Industries
	C-37/2
	Annealing of S.S.Sheets
	1.5-2 tonnes (as per affidavit)
	BG of Rs. 01 Lakh submitted each under Air, Water & HWM valid upto 06.02.2010.
	CTE on 04.04.2008 vide I.D. No. 25414.
	CTO(R)  on 01.06.2007 vide I.D. No. 21630.
CTO (R) on 30.05.2008 vide I.D.No 25913.
	Applied on 21.03.2005 & 27.10.2006 vide I.D. No. 2354 & 3974 respectively.
	         07.01.2009
Call on 25.02.2009 with CGWA clearance.
               25.02.09
Refer to CEO, DJB for opinion on the permision required for ground water extraction.Call on 15.04.2009
	Common letter issued to DJB on 06.04.09 & reply is yet to recived.
	Call on 28.05.2009

	103
	50
	WP
	Mahavir Steel Industries
	B-68/1
	Re-rolling and pickling of SS sheets
	2 tonnes (as per inspection report)
	BG of Rs. 01 Lakh submitted each under Air, Water & HWM valid upto 06.02.2010.
	CTE on 27.03.2008 vide I.D. No. 25335
	CTO on 24.03.2005 vide I.D. No. 13193.
Not applied for CTO.
	Applied on 24.03.2005 vide I.D. No. 2364.
	               07.01.2009
Call on 25.02.2009 with CGWA clearance.
       25.02.09
Refer to CEO, DJB for opinion on the permision required for ground water extraction.Call on 15.04.2009
	Common letter issued to DJB on 06.04.09 & reply is yet to recived.
	Call on 28.05.2009

	104
	52
	WP
	Onkar Steel
	B-67/1
	Annealing, Cold Re-Rolling and Pickling of S.S.Sheets
	1.5 tonnes ( as per inspection report)
	BG of Rs. 01 Lakh submitted each under Air, Water & HWM valid upto 06.02.2010.
	CTE on 11.04.2008 vide I.D. No. 25488
	CTO(R)  on 17.09.08 vide I.D. No. 27378.
	Applied for renewal of authorization on 01.08.2006 vide I.D. No. 3033.
	        07.01.2009
Call on 25.02.2009 with CGWA clearance.
          25.02.09
Refer to CEO, DJB for opinion on the permision required for ground water extraction.Call on 15.04.2009
	Common letter issued to DJB on 06.04.09 & reply is yet to recived.
	Call on 28.05.2009

	105
	53
	WP
	Premier Industries
	B-62 (Backside)
	Pickling of SS sheets
	2 tonnes (as per inspection report)
	BG of Rs. 01 Lakh submitted each under Air, Water & HWM valid upto 06.02.2010.
	CTE on 15.04.2008 vide I.D. No. 25499
	CTO (R) on 16.07.2007 vide I.D. No. 22446.
	Applied for renewal of authorization on 02.08.2006 vide I.D. No. 3072.
	         07.01.2009
Call on 25.02.2009 with CGWA clearance.
          25.02.09
Refer to CEO, DJB for opinion on the permision required for ground water extraction.Call on 15.04.2009
	Common letter issued to DJB on 06.04.09 & reply is yet to recived.
	Call on 28.05.2009

	106
	54
	WP
	S.V. Industries
	A-59, Group 
	Pickling,  & Re- Rolling of S.S.Sheets
	2-3 tonnes (as per affidavit)
	Submitted 3 lakhs on 14.5.08 valid up to06.02.2010
	CTE obtained on 22.07.2008 vide consent order no. 18678 (valid upto 21.07.09)
	CTO issued on 11.11.2008 vide Con. No. 19149 valid upto 24.08.2009.
	Applied for renewal of authorization on 10.08.2006 vide I.D. No. 3261.
	          07.01.2009
No action. 
       25.02.09
No action.
	CTO issued.
	Call on 28.05.2009

	107
	55
	WP
	Saraswati   Traders
	A-96/2
	Annealing, Re-Rolling & Pickling of S.S.Sheets
	40 tonnes / month (as per affidavit)
	BG of Rs. 01 Lakh submitted each under Air, Water & HWM valid upto 06.02.2010.
	CTE on 27.03.2008 vide I.D. No. 25334
	CTO (R) on 11.07.07 vide I.D. No. 22318.
	Applied for renewal of authorization on 24.08.2006 vide I.D. No. 3432.
	          07.01.2009
Call on 25.02.2009 with CGWA clearance.
           25.02.09
Refer to CEO, DJB for opinion on the permision required for ground water extraction.Call on 15.04.2009
	Common letter issued to DJB on 06.04.09 & reply is yet to recived.
	Call on 28.05.2009

	108
	56
	WP
	Shri Luxmi Industries
	A-39
	Cold Re-Rolling and Pickling of S.S.Sheets
	2.25 tonnes (as per inspection report)
	BG of Rs. 03 Lakhs submitted under Air, Water & HWM valid upto 06.02.2010.
	Applied for CTE on 19.03.2008 vide I.D. No. 25269
	CTO on 10.11.2004 vide I.D. No. 12099.
Not applied for CTO. 
	Applied for renewal of authorization on 10.08.2006 vide I.D. No. 3260.
	             07.01.2009
Call on 25.02.2009 with CGWA clearance.
               25.02.09
 Refer to CEO, DJB for opinion on the permision required for ground water extraction.Call on 15.04.2009
	Common letter issued to DJB on 06.04.09 & reply is yet to recived.
	Call on 28.05.2009

	109
	57
	WP
	Singhal Udyog
	B- 70
	Annealing, re-rolling & Pickling.
	10-15 tonnes / month (as per inspection report)
	Submitted 2.25 lakhs on 14.5.08 valid up to 06.02.2010
	CTE on 18.03.2008 vide I.D. No. 25228
	CTO obtained. Valid upto 01.08.2005. CTO(R) on 25.07.2005 vide I.D. No. 15584.
Not applied for CTO(R).
	Applied for renewal of authorizationon 14.07.2006 vide I.D. No. 2811.
	         07.01.2009
Call on 25.02.2009 with CGWA clearance.
            25.02.09
Refer to CEO, DJB for opinion on the permision required for ground water extraction.Call on 15.04.2009
	Common letter issued to DJB on 06.04.09 & reply is yet to recived.
	Call on 28.05.2009

	110
	58
	WP
	Tirupati Metal
	B-8, Group
	Pickling , Annealing and Cold Re-Rolling of S.S.Sheets
	2.5 tonnes ( as per inspection report)
	BG of Rs. 01 Lakh submitted each under Air, Water & HWM valid upto 06.02.2010.
	CTE on 14.03.2008 vide I.D. No. 25206.
	CTO on 20.12.2006 vide I.D. No. 20238.
	Applied on 20.12.2006 vide I.D. No. 4176.
	        07.01.2009
Insist the unit to file CGWA clearance. Call on 25.02.2009.
         25.02.09
Refer to CEO, DJB for opinion on the permision required for ground water extraction.Call on 15.04.2009
	Common letter issued to DJB on 06.04.09 & reply is yet to recived.
	Call on 28.05.2009

	111
	59
	WP
	Vijay Enterprises (Legal)
	A-15, Group
	Re-Rolling & Pickling of S.S.Sheets
Pickling stopped as per SIT
	2 - 3T/day as per mfg process.
	Submitted 3 lakhs on 16.05.2008 valid up to 06.02.2010
	Applied for CTE on 25.03.2008 vide I.D. No. 25306.
	CTO on 24.02.2006 vide I.D. No. 17833
	Applied for renewal for authorization on 07.08.2006 vide I.D. No. 3178.
Not applicable as pickling stopped.
	          07.01.2009
Insist the unit to file CGWA clearance. SIT to inspect and report. Call on 25.02.2009.
         25.02.09
Ask the unit to provide the acoustic enclosure and raise the stack height of the DG.Set and file permission for CGWA clearance and provide the information w.r.t. hazardous waste and log book maintained as per the HWM Rules.Ask the new units Swastik Industres and M/s Padam Steels to apply for Consent to Establish.Call on 15.04.2009
	Letter issued. No reply received.
	Issue final reminder to the unit to provide an acoustic enclosure and raise the stack height of the DG.Set and file permission from DJB for ground water extraction and provide the information w.r.t. hazardous waste and log book maintained as per the HWM Rules.. Call on 28.05.2009

	112
	 
	 
	Padam Steels
	A-15, 1st floor, Group
	Mfg. of utensils (w/o buffing & pickling)
	 
	 
	CTE applied under green category on 22.04.09 vide ID no. 29623
	 
	 
	         25.02.09
Ask the new units Swastik Industres and M/s Padam Steels to apply for Consent to Establish.Call on 15.04.2009
	Letter issued. Reply received on 15.04.09 & requested 15 days more time to submit CTE application..
	Shift the case to CMC(Green) Committee.

	113
	 
	 
	Swastik  Industries
	A-15, 2nd floor, Group
	 
	 
	 
	 
	 
	 
	         25.02.09
Ask the new units Swastik Industres and M/s Padam Steels to apply for Consent to Establish.Call on 15.04.2009
	Letter issued. No reply received.
	Issue final reminder to apply for Consent to Establish. Call on 28.05.2009

	114
	60
	WP
	Prime Industries
	C-44
	Annealing & Pickling
	15-20 tonnes / month (as per inspection report)
	BG of Rs. 75000 under Air Act, Water Act & HWM Rules submitted valid upto 06.02.2010.
	CTE on 10.04.2008 vide I.D No. 25463.
	CTO (R) on 19.01.2007 vide I.D. No. 24241.
	Applied for renewal of authorization on 18.08.2006 vide I.D. No. 3371.
	         07.01.2009
Call on 25.02.2009 with CGWA clearance.
          25.02.09
Refer to CEO, DJB for opinion on the permision required for ground water extraction.Call on 15.04.2009
	Common letter issued to DJB on 06.04.09 & reply is yet to recived.
	Call on 28.05.2009

	115
	61
	WP
	Subash Goel
	B-29/2 (Back Side)
	Pickling of S.S.Sheets
	300 MT/annum as per affidavit
	BG of Rs. 01 Lakh submitted each under Air, Water & HWM valid upto 06.02.2010
	CTE on 28.05.2008 vide I.D.No. 25874
	CTO(R) on 23.08.2007 vide I.D. No. 23236.
	Applied for renewal for authorization on 15.09.2006 vide I.D. No. 3591.
	         07.01.2009
Call on 25.02.2009 with CGWA clearance.
          25.02.09
Refer to CEO, DJB for opinion on the permision required for ground water extraction.Call on 15.04.2009
	Common letter issued to DJB on 06.04.09 & reply is yet to recived.
	Call on 28.05.2009

	116
	62
	WP
	Arihant Industries
	A-101/1 A 
	Re-rolling & Pickling
	800-900 Kg/day (as per inspection report)
	BG of Rs. 3 Lakhs submitted on 28.09.2007 valid upto 06.02.2010
	CTE obtained on 04.03.2008 vide consent order no. 18454 (valid upto 03.03.2009)
	CTO on 26.03.2007 vide I.D.No. 20938.
	 06.08.2007.
	          07.01.2009
Insist the unit to submit an action plan for stoppage of the activity before 07.02.2010, which falls under negative list as per MPD-2021 and an action plan for new proposed activity in conformity with MPD-2021 on the vacant plot due to closure of present activity. Call on 25.02.2009.
       25.02.09
Issue letter to the unit to submit definite action plan for stoppage of the activity before 07.02.2010, which falls under negative list as per MPD-2021
	Letter issued. 
Reply breceived on 15.04.2009. Unit has informed that they are undertake that unit is bound with rules & regulations of the pollution control. As far as concerned to the stoppage it is humbly submitted that they will plan the buisness activity depending upon the prevailing circumstances and guidelines of the government of delhi at that time
	Public notice to be issued for closure of units, by 06.02.2010, engaged in the activities falling under negative list as per MPD 2021.

	117
	63
	WP
	Gupta Enterprises
	B-47/2, Group
	Annealing, Re-Rolling & Pickling of SS Sheets.
	01 tonne (as per inspection report)
	BG submitted on 21.12.2007 of Rs. 01 Lakh each under Air, Water, & HWM valid upto 06.02.2010.
	CTE on 21.11.2007 vide I.D. No. 24275.
	CTO obtained on 01.04.05  valid up to 30.9.2005.
CTO(R) refused on 28.09.2007 vide refusal no. 1678.
Not applied for CTO(R).
	Applied for authorization on 26.07.2006 vide I.D. No. 2948.
	            07.01.2009
Ask the unit to file full compliance of CMC decision dated 03.09.2008 . Call on 25.02.2009
            25.02.09
Refer to CEO, DJB for opinion on the permision required for ground water extraction & reminder for affidavit regarding Action paln w.r.t MPD-2021 & discharging its effluents whose pH is within the norms
	Common letter issued to DJB on 06.04.09 & reply is yet to recived. Letter issued to the unit. No reply received
	Public notice to be issued for closure of units, by 06.02.2010, engaged in the activities falling under negative list as per MPD 2021.

	118
	64
	WP
	Sahil Mohit & Co.
	B-85 
	Re-rolling & Pickling
	10 tonnes / month (as per inspection report)
	BG of Rs. Three Lakh submitted on 24.12.2007 valid upto 06.02.2010.
	CTE on 13.2.2008 with ID No. 24929
	CTO refused on 06.08.07 vide refusal no. 1642.
Not applied for CTO. 
	Applied for renewal of authorization on 18.08.2006  vide I.D. No. 3365.
	        07.01.2009
Call on 25.02.2009 with CGWA clearance.
           25.02.09
Refer to CEO, DJB for opinion on the permision required for ground water extraction.
	Common letter issued to DJB on 06.04.09 & reply is yet to recived. 
	Call on 28.05.2009

	119
	65
	WP
	Shiv Shakti Industries 
	A-84/1 
	 Re-Rolling & Pickling of S.S.Sheets
	1 T/Day as per affidavit.
	BG of Rs.01 Lakh submitted on 23.10.2007 each under Air, Water & HWM valid upto 06.02.2010.
	CTE obtained on 04.03.2008 (valid upto 03.03.09)  as per CMC decision dated 26.02.2008.
	CTO(R) applied on 12.10.2006 vide I.D. No. 19559 which is refused on 07.08.2007 .
	Authorization issued as decided in CMC meeting dated 26.02.2008.
	            21.10.2008
Ask the unit to rectify / repair mixing device of reaction tank of ETP as the inspection of Special Inspection Team has found the same defunct. Call on 03.12.2008   
           07.01.2009
SIT to inspect and report. Call on 25.02.2009 
          25.02.09
Ask the unit to correct the deficienices observed by SIT. Inform Legal Cell also. Call on 15.04.2009.
	Letter issued.Reply received on 16.04.09 for correction of SIT deficiencies.
	Ask the unit to file compliance affidavit for correction of deficiencies. Call on 28.05.2009

	120
	66
	WP
	Shri Sai Enterprises
	B-27/2, Group
	Pickling
	1 Tonne/day as per affidavit.
	BG of Rs. 01 Lakh each submitted on 31.12.2007 under Air, Water & HWM valid upto 06.02.2010.
	CTE obtained on 12.08.2004 (valid upto 20.07.2005) as per CMC decision dated 26.02.2008.
	CTO (R) on 05.10.2007 vide ID No. 23785
	Revocation of authorization on 01.10.2007
	                        07.01.2009
Insist the unit to file CGWA clearance and to submit an action plan for stoppage of the activity before 07.02.2010, which falls under negative list as per MPD-2021 and an action plan for new proposed activity in conformity with MPD-2021 on the vacant plot due to closure of present activity. Call on 25.02.2009.
       25.02.09
Refer to CEO, DJB for opinion on the permision required for ground water extraction
	Common letter issued to DJB on 06.04.09 & reply is yet to recived.
	Call on 28.05.2009

	121
	67
	WP
	Avtar Refrigeraton Industries
	C-57/1
	Re-Rolling & Pickling of S.S.Sheets
	2-3 tonne (as per inspection report)
	BG of Rs.01Lakh each submitted on 02.01.2008 under Air, Water & HWM valid upto 06.02.2010.
	CTE obtained on 05.01.2004. CTE on 25.03.2008 vide I.D.No 25307
	CTO refused on 07.08.2007 vide refusal no. 1646.
CTO on 25.07.2008 vide I.D. No. 26760.
	Refused on 07.08.2007.
	              07.01.2009
Call on 25.02.2009 with CGWA clearance.
            25.02.09
Refer to CEO, DJB for opinion on the permision required for ground water extraction
	Common letter issued to DJB on 06.04.09 & reply is yet to recived.
	Call on 28.05.2009

	122
	69
	WP
	Brij Mohan Ram Mohan
	A-86/2
	Pickling & Re- Rolling  of SS sheet
	1 tonne/day (as per inspection report)
	BG of Rs. 01 Lakh each submitted under Air, Water & HWM Rules valid upto 06.02.2010.
	CTE on 27.09.2007 vide I.D. No. 23668.
	CTO (R) applied on 29.09.2008 vide ID No. 27614.
	Refused on 09.02.2007
	                      07.01.2009
 Insist the unit to file CGWA clearance. Call on 25.02.2009.       
               25.02.09
   Refer to CEO, DJB for opinion on the permision required for ground water extraction & definite action plan for stoppage of the activity before 07.02.2010, which falls under negative list as per MPD-2021 and an action plan for new proposed activity in conformity with MPD-2021 on the vacant plot due to closure of present activity.
	Common letter issued to DJB on 06.04.09 & reply is yet to recived. 
Letter issued. Reply breceived on 15.04.2009. Unit has informed that they are undertake that unit is bound with rules & regulations of the pollution control. As far as concerned to the stoppage it is humbly submitted that they will plan the buisness activity depending upon the prevailing circumstances and guidelines of the government of delhi at that time
	Public notice to be issued for closure of units, by 06.02.2010, engaged in the activities falling under negative list as per MPD 2021.

	123
	70
	WP
	R.J. Enterprises
	A-112
	Pickling and Cold Re-Rolling of S.S Sheets
	750 kg/day as per affidavit.
	Submitted on 25.02.2008
	CTE obtained on 04.03.08 (valid upto 03.03.09)
	CTO dt 03.10.06 refused on 18.08.2007 vide refusal no. 1667. 
Not applied for CTO. 
	Refused on 18.08.2007.
	              21.10.2008
The Bank Guarantee w.r.t. Air Act & HWM Rules may  be returned  and forfeiture of Bank Guarantee w.r.t. Water Act will continue. Ask the unit to submit fresh Bank guarantees under all the three acts/rules valid upto 06.02.2010. Call on 03.12.2008
              07.01.2009
Issue reminder to the unit to submit fresh Bank guarantees under all the three acts/rules valid upto 06.02.2010. Call on 25.02.2009
             25.02.09
File be put up administratively.
	Letter issued to the unit for submission of 3 new fresh BG so that the amount of 2 old BG may be returned in compliance with the CMC decision dated 21.10.2008. Reply received requesting for return of Rs. 1.5 lakhs after which the unit is reday to submit fresh 3 BG of Rs. 75000.00 each.
Unit has submitted a letter on 04.03.2009 along with the application of permision of CGWA clearance.
file was processed administratively & as per approval, file sent to Account section.
	Account Officer, DPCC to take necessary action to comply with the directions on file. Call on 28.05.2009

	124
	72
	WP
	S. K. Steels
	B-58, Group
	Pickling
	30 tonnes / month (as per inspection report)
	Submitted on 25.02.2008
	 CTE on 31.12.2007 vide I.D. No. 24612.
	CTO refused on 09.08.07 vide refusal no. 1653.
CTO applied on 15.04.09 vide ID no. 29529. 
	Applied on 29.8.06 for renewal.
	             07.01.2009
Insist the unit to file CGWA clearance. Call on 25.02.2009.
           25.02.09
Refer to CEO, DJB for opinion on the permision required for ground water extraction & reminder for an action plan for stoppage of the activity before 07.02.2010, which falls under negative list as per MPD-2021 and an action plan for new proposed activity in conformity with MPD-2021 on the vacant plot due to closure of present activity. . Call on 30.10.2008. Call on 15.04.2009
	Common letter issued to DJB on 06.04.09 & reply is yet to recived. Letter issued to the unit but no reply received.
	Call on 28.05.2009

	125
	73
	WP
	Swaroop Industries (Legal)
	B-9, Group
	Pickling of S.S.Sheets
	 
	BG of Rs. 50000 each under Air & Water Act only instead of Rs. 1 Lakh under each of the three acts.
	CTE refused on 19.09.2008 vide refusal no. 1704.
	CTO refused on 18.08.07 vide refusal no. 1663.
Not applied for CTO. 
	Applied on 04.02.2005 vide I.D. No. 2306.
	             21.10.2008
SIT to inspect and report. Call on 03.12.2008.
            07.01.2009
Call on 25.02.2009
           25.02.09
Ask the unit to comply with CMC decision to file full Bank Guarantee. Call on 15.04.2009
	Letter issued.
Reply received on 15.04.09, unit has informed that they are in process of arranging to file the BG, and requesting for some more time to submit the BG.
	Final extension for submission of Bank Guarantee. Call on 28.05.2009

	126
	77
	WP
	Hari Ram 
	C-40/3
	Pickling of SS Sheets
	500-600 Kg / day (as per affidavit)
	BG of Rs. 75000 under Air, Water Acts & HWM Rules
	CTE on 31.12.2007 vide I.D. No. 24620.
	CTO refused on 09.10.2007 vide refusal no. 1679.
Not applied for CTO. 
	Applied for renewal on 18.08.2006 vide I.D. No. 3367.
	             07.01.2009
Call on 25.02.2009
          25.02.09
Refer to CEO, DJB for opinion on the permision required for ground water extraction & Issue letter to the unit to submit definite action plan for stoppage of the activity before 07.02.2010, which falls under negative list as per MPD-2021 
	Common letter issued to DJB on 06.04.09 & reply is yet to recived. Letter issued to the unit but no reply received.
	Public notice to be issued for closure of units, by 06.02.2010, engaged in the activities falling under negative list as per MPD 2021.

	127
	80
	WP
	Vishal Industries 
	C-55/1
	Re-Rolling & Pickling of S.S.Sheets
	2.5 Tonnes per month
	BG of Rs. 1.5 Lakhs submitted.
	CTE on 10.09.2007 vide I.D. No. 23442.
	CTO refused on 20.07.2007 vide I.D. No. 22638. 
	 
	            07.01.2009
Insist the unit to file CGWA clearance and to submit an action plan for stoppage of the activity before 07.02.2010, which falls under negative list as per MPD-2021 and an action plan for new proposed activity in conformity with MPD-2021 on the vacant plot due to closure of present activity. Call on 25.02.2009.
         25.02.09
Refer to CEO, DJB for opinion on the permision required for ground water extraction & reminder to submit an action plan for stoppage of the activity before 07.02.2010, which falls under negative list as per MPD-2021 and an action plan for new proposed activity in conformity with MPD-2021 on the vacant plot due to closure of present activity. .Call on 15.04.2009
	Common letter issued to DJB on 06.04.09 & reply is yet to recived. Letter issued to the unit but no reply received.
	Public notice to be issued for closure of units, by 06.02.2010, engaged in the activities falling under negative list as per MPD 2021.

	128
	81
	WP
	Goyal Enterprises
	B-7, Group
	Pickling & Re- Rolling of SS sheet
	1 tonne (as per inspection report)
	BG of Rs. Three Lakh submitted on 24.10.2007.
	CTO(R) obtained. Valid upto 11.08.2008.
	CTO(R) obtained on 06.06.2006. Valid upto 11.08.2008.
CTO (R ) applied on 17.11.2008 vide ID no. 28112 as per the DPCC record.
	Authorization issued. 
	             07.01.2009
Issue final reminder for full compliance of CMC decision dated 03.09.3008. Call on 25.02.2009
            25.02.09
Issue letter to the unit to submit definite action plan for stoppage of the activity before 07.02.2010, which falls under negative list as per MPD-2021and also submit effluent analysis report from approved laboratoires of DPCC.
	Letter issued. No reply received
	Call for personal hearing on 28.05.2009 at 5.50 PM.

	129
	82
	WP
	Hari Ram Babu Lal
	B-63
	Pickling , Annealing & Re- Rolling of SS sheet
	20 tonnes (as per inspection report)
	BG of Rupees Two Lakh submitted on 29.10.2007
	CTE on 14.03.2008 vide I.D. No. 25202
	CTO(R) obtained on 12.09.2006. Valid upto 01.08.2008. 
CTO on 04.10.2006 vide I.D. No. 19489.
	Applied on 04.10.2006 vide I.D. No. 3759
	              21.10.2008
Call on 03.12.2008.
             07.01.2009
Issue final reminder for full compliance of CMC decision dated 03.09.3008. Call on 25.02.2009
            25.02.09
Refer to CEO, DJB for opinion on the permision required for ground water extraction & Issue letter to the unit to submit definite action plan for stoppage of the activity before 07.02.2010, which falls under negative list as per MPD-2021 
	Common letter issued to DJB on 06.04.09 & reply is yet to recived. Letter issued to the unit but no reply received.
	Public notice to be issued for closure of units, by 06.02.2010, engaged in the activities falling under negative list as per MPD 2021.

	130
	83
	WP
	S.K. Enterprises
	A-126/1
	Pickling, Annealing & Re- Rolling of SS sheet
	2.5 tonnes (as per inspection report)
	BG submitted on 08.10.2007
	Not applied/obtained
	CTO ( R) obtained on 14.06.2006. Valid upto 26.7.2008.
CTO (R) on 12.08.08 vide I.D. No. 26937.
	Applied for renewal of authorization on 03.08.2006 vide I.D. No. 3110.
	            07.01.2009
Ask the unit to file definite action plan for stoppage of pickling activity before 07.02.2010 and to submt CGWA clearance. Call on 25.02.2009.
          25.02.09
Refer to CEO, DJB for opinion on the permision required for ground water extraction & Issue letter to the unit to submit definite action plan for stoppage of the activity before 07.02.2010, which falls under negative list as per MPD-2021
	Common letter issued to DJB on 06.04.09 & reply is yet to recived. Letter issued to the unit but no reply received.
	Public notice to be issued for closure of units, by 06.02.2010, engaged in the activities falling under negative list as per MPD 2021.

	131
	84
	WP
	Parkash Re-rolling Works
	A-131, Group
	Re-rolling and pickling of SS sheets
	2.5 tonnes (as per inspection report)
	BG of Rs. 3 Lakhs submitted.
	CTE on 26.05.2008 vide I.D. No. 25838.
	CTO refused on 18.08.2007 vide refusal no. 1661.
Not applied for CTO. 
	Applied for authorization on 25.06.2008 vide I.D No. 4606.
	             21.10.2008
Unit may be asked to make ETP functional before operating pickling activity. Call on 03.12.2008
            07.01.2009
SIT to inspect and report. Call on 25.02.2009
           25.02.09
Issue SCN for deficiencies and for not operating ETP during previous inspections. Call on 15.04.2009
	SCN issued. No reply received.
	Issue final reminder for deficiencies and for not operating ETP during previous inspections. Call on 28.05.2009

	132
	85
	WP
	Bhagwati Steels
	B-28/4
	Pickling, Annealing & Re-Rolling of SS sheet
	500 Kg/day (as per inspection report)
	Revalidated BG of Rs. Three Lakh submitted on 19.03.2007
	Applied for CTE on 20.03.2008 vide I.D. No. 25278.
	CTO (R) on 27.07.2005 vide I.D. No. 15707.
Not applied for CTO(R)
	Renewal of authorization on 12.07.2006 vide I.D. No. 2758.
	            21.10.2008
On the basis of findings of SIT regarding leakages, Committee deliberated and decided to forfeit the Bank Guarantee under Water Act and other BGs will be in force. Call on 03.12.2008
           07.01.2009
Ask the unit to file fresh Bank Guarantee of Rs. 1 Lakh under Water Act, 1974 valid upto 06.02.2010. Call on 25.02.2009
           25.02.09
Ask the unit to submit Bank Guarantee as sought earlier.
	Letter issued. Reply received for waiver of submission of BG of Rs. 1 lakh as BGs for Rs. 2 lakhs exists with DPCC and sought more time if the same is insisted.
	Time allowed till 28.05.2009. Call on 28.05.2009

	133
	86
	WP
	Ganpati Rolling Mill
	A-98/6
	Pickling & Re- Rolling  of SS sheet
	2-3 tonne (as per inspection report)
	Revalidated BG of Rs. Three Lakh submitted on 29.10.2007
	CTE on 11.03.2008 vide I.D. No. 25151.
	CTO(R) on 16.05.2007 vide I.D. No. 21335
	Applied for renewal of authorization on 18.08.2006 vide I.D No. 3353
	               07.01.2009
Insist the unit to file CGWA clearance. Call on 25.02.2009.
              25.02.09
Refer to CEO, DJB for opinion on the permision required for ground water extraction
	Common letter issued to DJB on 06.04.09 & reply is yet to recived.
	Call on 28.05.2009

	134
	87
	WP
	Kusum Steel Co.
	C-57
	Re-rolling & Pickling
	4-5 tonne (as per inspection)
	BG of Rs. Three Lakh submitted on 23.08.2007
	CTE on 11.04.2008 vide I.D. No. 25487.
	CTO on 11.01.2005 vide I.D. No. 12421.
Not applied for CTO. 
	Applied for renewal of authorization on 11.01.2005 vide I.D. No. 2265.
	              07.01.2009
Issue final reminder for full compliance of CMC decision dated 21.10.2008. Call on 25.02.2009
             25.02.09
Refer to CEO, DJB for opinion on the permision required for ground water extraction & Issue final reminder for full compliance of CMC decision dated 21.10.2008.
	Common letter issued to DJB on 06.04.09 & reply is yet to recived. Letter issued to the unit, Reply received on 13.04.2009. Unit has informed that due to the global slowdown unit cannot submit the definite action. Unit has requested that they will stop pickling activity before 06.02.2010. Unit asking time in month of july to submit the asked BG
	Final extension for submission of Bank Guarantee and put up a public notice for closure of the units falls under negative list of MPD-2021. Call on 28.05.2009

	135
	88
	WP
	Metal Fabricators
	A-85/3
	Pickling, Annealing & Re- Rolling of SS sheet
	30 tonnes / month (as per inspection report)
	Revalidated BG submitted on 29.10.2007
	Applied for CTE on 20.03.2008 vide I.D. No. 25279.
	CTO on 24.01.2005 vide I.D. No. 12494
Not applied for CTO. 
	Applied on 20.09.2006 vide I.D. No. 3637
	            07.01.2009
Issue reminder for submission of Bank Guarantee. Also ask the unit to submit an action plan for stoppage of the activity before 07.02.2010, which falls under negative list as per MPD-2021 and an action plan for new proposed activity in conformity with MPD-2021 on the vacant plot due to closure of present activity and apply for consent to operate. Call on 25.02.2009
            25.02.09
Issue letter to the unit to submit definite action plan for stoppage of the activity before 07.02.2010, which falls under negative list as per MPD-2021 
	Letter issued. No reply received
	Public notice to be issued for closure of units, by 06.02.2010, engaged in the activities falling under negative list as per MPD 2021.

	136
	89
	WP
	Mitul Industries
	A-124
	Pickling, Annealing & Re-Rolling of SS sheet
	1.5 tonnes (as per affidavit)
	Extension letter for BG submitted on 01.10.2007.
BG revalidated up to 06.02.2010.
	CTE obtained on 07.05.2008 (valid upto 06.05.2009) as per CMC decision dated 24.04.2008
	CTO(R) on 01.08.2005 vide I.D. No. 15868.
Not applied for CTO(R) 
	Applied for renewal of authorization on 09.12.2006 vide I.D. No. 3248.
	             07.01.2009
Insist the unit to file CGWA clearance and to submit an action plan for stoppage of the activity before 07.02.2010, which falls under negative list as per MPD-2021 and an action plan for new proposed activity in conformity with MPD-2021 on the vacant plot due to closure of present activity. Call on 25.02.2009.
            25.02.09
Refer to CEO, DJB for opinion on the permision required for ground water extraction & Issue letter to the unit to submit definite action plan for stoppage of the activity before 07.02.2010, which falls under negative list as per MPD-2021 
	Common letter issued to DJB on 06.04.09 & reply is yet to recived. Letter issued to the unit but no reply received.
	Public notice to be issued for closure of units, by 06.02.2010, engaged in the activities falling under negative list as per MPD 2021.

	137
	91
	WP
	Rahul Udyog 
	A- 96 / 1A
	Annealing, Re-Rolling & Pickling of S.S.Sheets
	2-2.5 tonnes (as per inspection report)
	BG of Rs. Three Lakh submitted on 15.10.2007.
	CTE on 01.01.2008 vide I.D. No. 24632.
	CTO refused on 09.08.07 vide refusal no. 1651
	Applied on 28.03.2005 vide I.D. No. 2367.
	          07.01.2009
Insist the unit to file CGWA clearance and to submit an action plan for stoppage of the activity before 07.02.2010, which falls under negative list as per MPD-2021 and an action plan for new proposed activity in conformity with MPD-2021 on the vacant plot due to closure of present activity. Call on 25.02.2009.
         25.02.09
Refer to CEO, DJB for opinion on the permision required for ground water extraction & Issue letter to the unit to submit definite action plan for stoppage of the activity before 07.02.2010, which falls under negative list as per MPD-2021
	Common letter issued to DJB on 06.04.09 & reply is yet to recived. 
Reply received on 20.04.09. Unit has informed that they are undertake that unit is bound with rules & regulations of the pollution control. As far as concerned to the stoppage it is humbly submitted that they will plan the buisness activity depending upon the prevailing circumstances and guidelines of the government of delhi at that time. 
	Public notice to be issued for closure of units, by 06.02.2010, engaged in the activities falling under negative list as per MPD 2021.

	138
	92
	WP
	Raj Overseas
	C- 60/1
	Annealing , re-rolling and pickling of SS sheets and manufacturing of utensils ( including buffing)
	3 tonnes/day (as per affidavit)
	BG of Rs. Three Lakh submitted on 31.12.2007.
	CTE obtained on 07.05.2008 (valid upto 06.05.2009) as per CMC decision dated 24.04.2008
	CTO refused on 07.08.07 vide refusal no. 1649
Not applied for CTO. 
	Applied on 01.06.2007
	             07.01.2009
File be submitted administratively. 
             25.02.09
Call on 12.03.2009
           12.03.2009
The case is to be fought rigorously and if no senior lawyer has been appointed the newly appointed advocate Sh. Mahapatra be assigned this case. Call on 22.04.2009
            02.04.2009
Call on 15.04.09
            15.04.09
SIT during inspection has found number of deficiencies, issue fresh notice for closure and forfeite Bank Guarantee without wating for minutes. Call on 29.04.2009
	Unit approched Hon'ble High Court against CMC decision dated 03.09.2008
High Court has stayed forfeiture of BG vide its order dated 17.09.2008.
Lastly, case was listed on 01.04.2009 and matter was argued by Sr. Advocate Ms. Pinki Anand. After hearing, court has pleased to dismiss the matter as withdrawn and petitioner was directed to approach the concerned Appellate Authority. Regarding forfeiture of BG, court has pleased to stay the forfeiture the BG for a limited period of one week only.
Decision of the CMC(O) meeting dated 15.04.09 is yet to be implemented as Unit has approached to the Appellate authority (finance). The Appellate authority (finance) has stayed on the decision for forfieture of BG as information provieded by the legal cell, DPCC. The case was discussed in CMC(O) meeting dated 23.04.09 & it will be called on 08.05.2009.
	Call on 14.05.2009

	139
	93
	WP
	Shriram Rolling Mill
	A-93/14
	Pickling & Re- Rolling of SS sheet
	2-3 tonne (as per inspection report)
	Revalidated BG of Rs. Three Lakh submitted on 29.10.2007
	Applied for CTE on 25.03.2008 vide I.D. No. 25299.
	CTO on 01.06.2006 vide I.D. No. 18355
	Applied on 01.06.2007 vide I.D. No. 2655.
	             07.01.2009
Insist the unit to file CGWA clearance and to submit an action plan for stoppage of the activity before 07.02.2010, which falls under negative list as per MPD-2021 and an action plan for new proposed activity in conformity with MPD-2021 on the vacant plot due to closure of present activity. Call on 25.02.2009.
           25.02.09
 Refer to CEO, DJB for opinion on the permision required for ground water extraction & Issue letter to the unit to submit definite action plan for stoppage of the activity before 07.02.2010, which falls under negative list as per MPD-2021           
	Common letter issued to DJB on 06.04.09 & reply is yet to recived. Letter issued to the unit but no reply received.
	Public notice to be issued for closure of units, by 06.02.2010, engaged in the activities falling under negative list as per MPD 2021.

	140
	94
	WP
	Vinayak Industires
	C-36/1
	Re- Rolling & Pickling of SS sheet
	375 - 500 kg/day
	BG of Rs. Three Lakh subitted 29.10.2007.
	CTE on 18.03.2008 vide I.D. No. 25226
	CTO obtained on 05.11.2004 (valid up to 24.6.07).
CTO(R) on 11.06.2007 vide I.D. No. 21775.
	Applied on 23.12.2003 & 25.04.2005 vide I.D. No. 192 & 2387 respectively.
	        07.01.2009
Issue reminder for submission of CGWA clearance. Also ask the unit to confirm through an affidavit that it is discharging its effluents whose pH is within the norms and to submit an action plan for stoppage of the activity before 07.02.2010, which falls under negative list as per MPD-2021 and an action plan for new proposed activity in conformity with MPD-2021 on the vacant plot due to closure of present activity. Call on 25.02.2009
          25.02.09
 Refer to CEO, DJB for opinion on the permision required for ground water extraction & Issue letter to the unit to submit definite action plan for stoppage of the activity before 07.02.2010, which falls under negative list as per MPD-2021
	Common letter issued to DJB on 06.04.09 & reply is yet to recived. Letter issued to the unit but no reply received.
	Public notice to be issued for closure of units, by 06.02.2010, engaged in the activities falling under negative list as per MPD 2021.

	141
	95
	WP
	Sh. Gaurav(Proprietor of  pickling  unit )
	C-55/1 (back side portion )
	Pickling of S.S.Sheets
	Not Mentioned 
	BG of Rs. 3 Lakhs submitted.
	CTE on 21.05.2008 vide I.D.No. 25789.
	CTO on 12.07.2007 vide I.D. No. 22366.
	Not applied.
	             07.01.2009
Insist the unit to file CGWA clearance and to submit an action plan for stoppage of the activity before 07.02.2010, which falls under negative list as per MPD-2021 and an action plan for new proposed activity in conformity with MPD-2021 on the vacant plot due to closure of present activity. Call on 25.02.2009.
             25.02.09
Refer to CEO, DJB for opinion on the permision required for ground water extraction & Issue letter to the unit to submit definite action plan for stoppage of the activity before 07.02.2010, which falls under negative list as per MPD-2021 
	Common letter issued to DJB on 06.04.09 & reply is yet to recived. Letter issued to the unit but no reply received.
	Public notice to be issued for closure of units, by 06.02.2010, engaged in the activities falling under negative list as per MPD 2021.

	142
	98
	WP
	Laxmi Rolling Mills
	A-90/3, Group
	Pickling & Re- Rolling  of SS sheet
	2-3 tonne (as per inspection report)
	Revalided BG submitted on 29.10.2007
	CTE on 18.03.2008 vide I.D. No. 25233
	CTO on 18.05.2007 vie I.D. No. 21408.
	Applied for renewal of authorization on 07.08.2006 vide I.D. No. 3179.
	          21.10.2008
SIT inspection indicates that pickling area is very small for operating pickling activity. Unit may be asked to increase the pickling area in order to adjust pickling instruments inside the premises which are found outside the premises during inspection. Permanent wall needs to be built in the pickling area to avoid seepage and fumes towards road side. Call on 03.12.2008.
         07.01.2009
SIT to inspect and report. Call on 25.02.2009
         25.02.09
Ask the unit to fully complied with a decision dated 21.10.2008.
	Letter issued. No reply received
	Call for personal hearing on 28.05.2009 at 6.00 PM.

	143
	99
	WP
	Krishna Metal Industries
	A-40
	Steel Rolling Annealing Re -Rolling & Pickling 
	10-15 Kg/month (as per inspection report)
	BG of Rs. 3 Lakhs submitted on 06.08.2008
	Applied for CTE on 24.03.2008 vide I.D. No. 25290.
	CTO(R) on 04.04.2008 vide I.D. No. 25417.
	Applied for renewal of  authorization on 18.08.2006 vide I.D. No. 3355.
	           07.01.2009
Insist the unit to file CGWA clearance and to submit an action plan for stoppage of the activity before 07.02.2010, which falls under negative list as per MPD-2021 and an action plan for new proposed activity in conformity with MPD-2021 on the vacant plot due to closure of present activity. Call on 25.02.2009.
      25.02.09
Refer to CEO, DJB for opinion on the permision required for ground water extraction & Issue letter to the unit to submit definite action plan for stoppage of the activity before 07.02.2010, which falls under negative list as per MPD-2021
	Common letter issued to DJB on 06.04.09 & reply is yet to recived. Letter issued to the unit but no reply received.
	Public notice to be issued for closure of units, by 06.02.2010, engaged in the activities falling under negative list as per MPD 2021.

	144
	104
	WP
	Vijay Industries
	B-71
	Annealing & Pickling
	_
	BG of Rs. 3 Lakhs submitted.
	CTE on 15.04.2008 vide I.D. No. 25519
	CTO refused on 06.08.2007 vide refusal no. 16141.
Not applied for CTO. 
	Applied on 27.4.05 vide ID No. 2390
	            07.01.2009
Issue final reminder to the unit to comply with the CMC decision dated 03.09.2008. Call on 25.02.2009
           25.02.09
Refer to CEO, DJB for opinion on the permision required for ground water extraction & Issue letter to the unit to submit definite action plan for stoppage of the activity before 07.02.2010, which falls under negative list as per MPD-2021 & also give an affidavit that it is discharging its effluents whose pH is within the norms
	Common letter issued to DJB on 06.04.09 & reply is yet to recived. Letter issued to the unit but no reply received.
	Public notice to be issued for closure of units, by 06.02.2010, engaged in the activities falling under negative list as per MPD 2021.

	145
	113
	WP
	Suraj Industries
	C-55/1
	Pickling of S.S. Sheets
	 
	Rs. 75000 under each of three acts
	CTE on 26.05.2008 vide I.D. No. 25839 
	CTO on 05.06.07 vide I.D.No. 21677.
	 
	         07.01.2009
Issue reminder to the unit for submission of CGWA clearance, an action plan for stoppage of the activity before 07.02.2010, which falls under negative list as per MPD-2021 and an action plan for new proposed activity in conformity with MPD-2021 on the vacant plot due to closure of present activity
          25.02.09
Refer to CEO, DJB for opinion on the permision required for ground water extraction & Issue letter to the unit to submit definite action plan for stoppage of the activity before 07.02.2010, which falls under negative list as per MPD-2021 & also give an affidavit that it is discharging its effluents whose pH is within the norms
	Common letter issued to DJB on 06.04.09 & reply is yet to recived. Letter issued to the unit but no reply received.
	Public notice to be issued for closure of units, by 06.02.2010, engaged in the activities falling under negative list as per MPD 2021.

	146
	116
	WP
	DEV STEELS
	A-19
	Pickling of S.S. Sheets
	1000 Kg/Day (As per Affidevit)
	BG submitted on 16.09.2008 for Rs. 1 Lakh each under three acts.
	CTE Granted vide order no. 11851 and valid upto 04.08.05
	CTO(R) obtained on 28.07.06 vide consent order no. 16256 and valid upto 13.06.09
	Authorization obtained. Valid upto 20.08.2009
	                 07.01.2009
Insist the unit to submit CGWA clearance.
                25.02.09
Refer to CEO, DJB for opinion on the permision required for ground water extraction.Call on 15.04.2009
	Common letter issued to DJB on 06.04.09 & reply is yet to recived. 
	Call on 28.05.2009

	147
	124
	WP
	NEW ADARSH RE-ROLLING 
	A-137
	Annealing,Re-rolling and Pickling 
	2.5MT/day as per affidavit.
	BG of one lakh each under Air, Water and HMW Act. Submitted on 28.09.07,valid upto 06.02.02010
	CTE Granted on 31.01.08 and valid upto 30.01.09
	CTO (R) applied under Orange category on 05.01.2009 vide ID no. 28593.
CTO refused on 28.09.2007 vide refusal no. 1675.
	Authorization valid upto 30.01.2010
	                  07.01.2009
Insist the unit to submit definite action plan w.r.t. MPD 2021.
             25.02.09
Issue reminder for definite action plan w.r.t. MPD-2021.
	Letter isued. Reply received on 13.04.09. Unit has informed that they are undertake that unit is bound with rules & regulations of the pollution control. As far as concerned to the stoppage it is humbly submitted that they will plan the buisness activity depending upon the prevailing circumstances and guidelines of the government of delhi at that time. 
	Public notice to be issued for closure of units, by 06.02.2010, engaged in the activities falling under negative list as per MPD 2021.

	148
	135
	WP
	A.K. INDUSTRIES 
	A-102/1 A 
	 Pickling of S.S. steel
	700-800 Kg/Day as per affidevit
	BG of Rs. 50000.00 each submitted under Air, Water & HWM Rules valid upto 06.02.2010.
	 
	CTO (R) granted on 16.08.07 and valid upto 6.02.2010
	Authorization granted. Valid upto 19.08.2009.
	                07.01.2009
Insist the unit to submit definite action plan w.r.t MPD 2021 and to submit Bank Guarantee of Rs. 50,000 each under Water Act, 1974, Air Act, 1981 & HWM Rules valid upto 06.02.2010 .
                 25.02.09
Issue reminder to the unit to submit definite action plan wrt MPD 2021 .
	Letter issued. No reply received
	Public notice to be issued for closure of units, by 06.02.2010, engaged in the activities falling under negative list as per MPD 2021.

	149
	147
	Wp
	SUMENDER KUMAR / KALYAN STEEL ROLLING MILL
	A-130
	Annealing Re-rolling and pickling of S.S. sheet
	6-7 tones/day
	BG of one lakh each under Air, Water and HMW Act. Submitted on 22.11.07,valid upto 6.02.2010
	 
	CTO obtained on 03.09.2004 vide consent order no. 11522 (valid upto 01.08.2005)
applied for CTO under Orange category on 13.01.2009 vide ID no. 28655.
	 
	                 07.01.2009
Insist the unit to submit definite action plan w.r.t MPD 2021 and CGWA clearance.
             25.02.09
Refer to CEO, DJB for opinion on the permision required for ground water extraction & Issue reminder to the unit to submit definite action plan wrt MPD 2021.
	Common letter issued to DJB on 06.04.09 & reply is yet to recived.
Reply received on 13.04.09. Unit has informed that they are undertake that unit is bound with rules & regulations of the pollution control. As far as concerned to the stoppage it is humbly submitted that they will plan the buisness activity depending upon the prevailing circumstances and guidelines of the government of delhi at that time
	Public notice to be issued for closure of units, by 06.02.2010, engaged in the activities falling under negative list as per MPD 2021.

	150
	148
	WP
	SHIVA INDUSTRIES 
	C-91/1
	Annealing Re-rolling and pickling of S.S. sheet
	2 tones/day
	BG of one lakh each under Air, Water & HWM Act, submitted on 25.09.07 and valid upto 6.02.2010
	CTE Granted on 12.10.07 and valid upto 11.10.08
	CTO(R) on 11.07.2007 vide I.D .No. 22315.
CTO applied on 11.11.2008 vide ID No. 28076. 
	 
	                07.1.2009
Insist the unit to submit definite action plan w.r.t MPD 2021and CGWA clearance.
              25.02.09
Refer to CEO, DJB for opinion on the permision required for ground water extraction & Issue reminder to the unit to submit definite action plan wrt MPD 2021.
	Common letter issued to DJB on 06.04.09 & reply is yet to recived. Letter issued to the unit. Reply received but without definite action plan.
	Public notice to be issued for closure of units, by 06.02.2010, engaged in the activities falling under negative list as per MPD 2021.

	151
	2
	WP
	Jai Shree Sheyam Enterprises
	A-123
	Pickling & Re-Rolling of SS sheets.
	750 tonnes /year (as per affidavit)
	BG of Rupees One Lakh submitted for D.G. Set only (valid upto 06.02.2010.).
	CTE on 29.10.2007 vide I.D. No. 24049.
	CTO on 02.08.2002 vide I.D. no. 5456 & 15.05.2007 vide I.D. No. 21331.
	Applied for renewal on 04.08.2006 vide I.D. No. 3129.
	             07.01.2009
SIT to inspect and report. Call on 25.02.2009
                  25.02.09
i) Refuse consent to establish and consent to operate of M/s Jai Shree Shyam Enterprises, as the unit has closed its operations. 
(ii) M/s SSS Enterprises : No action.
(iii) M/s M.A. Industries : Ask the unit to apply for Conent to Establish.
	Refusal letter issued. 
	Remove from the list.

	152
	 
	 
	SSS Enterprises
	A-123
	 
	 
	 
	 
	 
	 
	                  25.02.09
(ii) M/s SSS Enterprises : No action.
(iii) M/s M.A. Industries : Ask the unit to apply for Conent to Establish.
	No action.
	No action.

	153
	 
	 
	MA Industries
	A-123, 1st floor
	 
	 
	 
	 
	 
	 
	                  25.02.09
(ii) M/s SSS Enterprises : No action.
(iii) M/s M.A. Industries : Ask the unit to apply for Conent to Establish.
	DPCC record show that unit has applied CTE under Green category on 09.03.2009 vide ID no. 29199
	Shift the case to CMC(Green) Committee.

	154
	20
	WP
	Sohal Motor works
	B-24
	 Pickling, Annealing & Re-Rolling  of SS Sheets
	40 tonnes / month (as per affidavit)
	Not submitted stating that they have stopped pickling activity..
	CTE on 16.10.2007 vide I.D. No. 23924.
	CTO on 05.10.2004 vide I.D. No. 11819.
	Applied for renewal on 11.08.2006 vide I.D. No 3286.
	              07.01.2009
Paste the reminder letter to the premises. Call on 25.02.2009
            25.02.09
Ask the unit to file an affidavit to the effect that the operations have been closed. Call on 15.04.2009
	Letter issued, no reply received.
Reminder issued which is returned back undelievered. Letter pasted
A letter was submitted by the owner on 20.02.2009 & informed that the premises was locked as the unit is closed since earlier than Oct 06 & no pickling activity is done, as notices was found in bad condition , so requesting to send the photocopy of the notice so that a reply can be made accordingly.
Letter isued which was returned back undelievered. Letter pasted, no reply received.
	SIT-I to inspect and report. Call on 28.05.2009

	155
	22
	WP
	Jain & Company
	A-95/4
	M.S. Wire drawing with Pickling
	3 tonnes (as per adequacy report)
	BG not submitted.
	CTE on 19.12.2007 vide I.D. No. 24545.
CTE applied on 11.11.2008 vide ID No. 28064
	CTO on 29.10.2004 vide I.D. No. 12032
Not applied for CTO.
	Applied for renewal on 12.07.2006 vide I.D. No. 2756.
	         07.01.2009
SIT to inspect and report. Call on 25.02.2009
         25.02.09
Ask the unit to remove parts of ETP.
Ask the new unit namely Saurabh Steel to file CGWA clearance.
Call on 15.04.2009
	Letter issued . Reply recieved on 12.11.2008 & 10.12.2008. Unit has informed that they have completely closed the activity of acid dipping and doing only dry work like M.S. wire drawing and no pollution is generated from the unit.Unit also said that they do not have any furnance, boiler and DG sets. So the unit presume that they are exempted to submit the BG. The unit has already applied for CTE  for its new work on 11.11.2008
Reply received on 10.12.2008. Unit is again requested to exempt them from BG as they are not doing any polltion activity.
Letter issued. Reply received on 17.04.09, Unit has informed that they have removed the parts of ETP & requested to grant the consent..
	Call for personal hearing on 28.05.2009 at 6.10 PM.

	156
	 
	 
	Saurabh steel
	A-95/4
	 
	 
	 
	 
	 
	 
	         25.02.09
Ask the new unit namely Saurabh Steel to file CGWA clearance.
Call on 15.04.2009
	CTE granted on 16.09.08 under Green category vaild upto15.09.09 for circle cutting activity.
Letter issued, reply received on 17.04.09, unit has informed that they are not have any borewell, Water is used only for drinking purpose from the outside.
	Shift the case to CMC(Green) Committee.

	157
	24
	WP
	Laxmi Industries
	A-97/4 
	 Pickling, Annealing & Re-Rolling  of SS Sheets
	500-600 Kg ( as per inspection report)
	BG not submitted.
	CTE obtained on 09.07.2003 vide consent order no. 6526 (valid upto 07.07.2004). 
Applied for CTE on 08.11.2007 vide I.D. No. 24179.
	CTO on 09.08.2004 vide I.D. No. 11276.
Not applied for CTO.
	Not applicable
	              07.01.2009
Call on 25.02.2009
             25.02.09
Ask the unit to remove defunct furnace. Call on 15.04.2009
	Letter issued. No reply received
	Issue final reminder for removal of defunct furnace. Call on 28.05.2009

	158
	43
	WP
	Satvir Jain 
	A-134
	Pickling of SS Sheets
	2-2.5 tonnes (as per inspection report)
	Not sought
	Not submitted.
	CTO refused on 02.04.2008 vide refusal no. 1692.
	Applied for renewal on 18.08.2006 vide I.D. No. 3373.
	No action.
        07.01.2009
No action. 
       25.02.09
No action.
	No action.
	No action.

	159
	51
	WP
	Moonlight Steel Industries
	A-99/1
	Pickling and Re-Rolling on MS Sheets
	250 Kg (as per adequacy report)
	BG not submitted.
	CTE on 10.04.2008 vide I.D. No. 25455
	CTO(R) on 21.07.2005 vide I.D. No. 15369.
	Applied for renewal of authorization on 10.08.2006 vide I.D. No. 3264.
	         07.01.2009
Ask the unit to file an affidavit for removal of the dismantled equipment. Call on 25.02.2009
          25.02.09
Refuse consent to establish. Call on 15.04.2009
	Refusal letter issued.
	Issue final reminder to  the unit to file an affidavit for removal of the dismantled equipment. Call on 28.05.2009

	160
	90
	WP
	Pooja Rolling Mills
	A-90/1, Group
	Pickling & Re- Rolling of SS sheet
	1-1.25 tonne (as per inspection report)
	Revalided BG  of Rs. Three Lakh submitted on 29.10.2007
	Applied for CTE on 18.03.2008 vide I.D. No. 25220.
CTE (Green) issued on 16.09.2008 vide Consent No. 18821 valid upto 15.09.2009
	CTO(R) on 30.01.2006 vide I.D. No. 17616.
	Applied for renewal of authorization on 01.08.2006 vide I.D. No. 3030.
	                 21.10.2008
SIT to inspect and report. Call on 03.12.2008.
                 07.01.2009
SIT to inspect and report after three months.
              25.02.09
Call on 15.04.2009.
	Unit has submitted a letter on 19.01.2009 for the release of BG Rs. 3 Lakh from DPCC as the Unit said that:-
1. They have already submitted the letter with an affidavit that they are not doing any pollution activity in the unit.
2.  As the factory closed, no pollution generated, no need to keep BG.
3.  Unit is again requested to release BG of Rs. 3 Lakh as soon as possible since the unit required money for running the new business.
	SIT-I to inspect and report. Call on 28.05.2009

	161
	97
	WP
	Jain Udyog
	B-41, Group
	Re-rolling & Pickling
	Not Mentioned 
	Not sought
	CTE obtained on 07.03.2006 (valid upto 06.03.2007)
CTE on 18.09.2007 vide I.D. No. 23545.
	 
	Not applied.
	        21.10.2008
Ask the unit to file Bank Guarantee of Rs. 1 Lakh each under Water Act, 1974, Air Act, 1981 and HWM Rules valid upto 06.02.2010. Call on 03.12.2008
       07.01.2009
SIT to inspect and report. Call on 25.02.2009
      25.02.09
Ask all the three units to apply for Consent to Establish. Call on 15.04.2009
	Letter issued.
Reply received on 21.11.2008. Unit has informed that they have already submitted affidavit for closing the pickling activity and also removed the pickling related equipements. Unit kindly requested to withdraw the notice.
	Issue SCN for closure as dismentalled ECS structure  and disconnected reaciton tank found lying at the site. Call on 28.05.2009

	162
	 
	 
	Subash Rolling
	ground floor, B-41, group
	Re-rolling of ss sheet
	 
	 
	CTE applied on 15-04-09 vide ld no29537
	 
	 
	      25.02.09
Ask all the three units to apply for Consent to Establish. Call on 15.04.2009
	Letter issued. No reply received.
	No action.

	163
	 
	 
	Capital Metal
	ground floor, B-41, group
	 
	 
	 
	 
	 
	 
	      25.02.09
Ask all the three units to apply for Consent to Establish. Call on 15.04.2009
	Letter issued. No reply received.
	Issue final reminder to apply for Consent to Establish. Call on 28.05.2009

	164
	 
	 
	Rolling Furnace
	ground floor, B-41, group
	 
	 
	 
	 
	 
	 
	      25.02.09
Ask all the three units to apply for Consent to Establish. Call on 15.04.2009
	Letter issued. DPCC's record shows that one industry apply CTE on 15.04.09 in the name of Roop furnace, however, No reply received.
	Ask the unit to file stack monitoring report from approved laboraory of DPCC. Call on 28.05.2009

	165
	102
	WP
	Vardhman Impex
	A-38
	Re-rolling and pickling of SS sheets
	3 tonnes (as per inspection report)
	BG of Rs. 50000 under Air Act submitted on 01.09.2008 valid upto 06.02.2010
	CTE on 18.03.2008 vide I.D. No. 25217.
CTE on 21.05.2008 vide I.D.No. 25791 (M/s Saurabh Steel Udyog).
	 
	_
	        07.01.2009
Issue reminder to the unit to file Bank Guarantee of Rs. 1 Lakh each under Water Act, 1974, Air Act, 1981 and HWM Rules valid upto 06.02.2010. Call on 25.02.2009
          25.02.09
Ask the unit to give remaining bank guarantees in compliance with CMC decision dated 07.01.2009
	Letter issued.
Reply received on 06.02.2009. Unit has informed that they are doing only cold re-rolling of Stainless Steel and applied for CTE and submitted BG of Rs. 50,000 under Air Act and not doing pickling activity this also confirmed by inspection team and requested to withdraw the said notice.
Letter issued. No reply received
	Issue final reminder to the unit to sumit remaining bank guarantees in compliance of CMC decision dated 07.01.2009

	166
	108a
	Wp
	Rajinder
	C- 60/2 (Backside portion)
	Manufacturing of Hinges (including pickling activity)
	Unit does not exist.
	Unit does not exist.
	Unit does not exist.
	Unit does not exist.
	Unit does not exist.
	         07.01.2009
Ask the unit namely M/s Rattan Singh & Sons to correct the deficiencies observed during the inspection by SIT and submit an affidavit in this regard. Also ask the unit to apply for Consent to Establish.
        25.02.09
Paste letter on the premises.
	Letter returrned back undelievered. Letter pasted.
Letter issued to Rattan singh for which no reply receieved.
	Issue reminder by pasting. Call on 28.05.2009

	167
	109a
	WP
	Sobti Associates
	B-78
	Pickling (unit found closed / site found vacant)
	Unit closed.
	Not sought
	Unit closed.
	CTO refused on 06.08.2007 vide I.D. No. 1639
	Unit closed.
	           21.10.2008
No action.
          07.01.2009
No action. 
       25.02.09
Call on 15.04.2009
	No Action.
	No action.

	168
	126
	WP
	ANKIT JAIN
	A-75/2
	 
	 
	 
	 
	 
	 
	                 07.01.2009
Ask the landlord of the premises to submit affidavit stating that they have closed rolling activity and sold the machinery.
               25.02.09
Call on 15.04.09.
	Letter issued.
Reply received on 16.12.2008 from the owner of the premises. He has informed that Ankit Jain has closed their rolling activity in April 2008 & sold the machine in August. Copy of affidavit of surrender in Excise has enclosed herewith.
Letter issued. Affidavit submitted on 23.02.2009 & informed that Ankit Jain went and sold the machineries. 
	Remove from the list.

	169
	149
	Wp
	NARESH STEEL FABRI 
	A-104/2
	Pickling of S.S sheet
	2 tonn/ day as per affidavit.
	 
	 
	CTO(R) on 01.04.2008 vide I.D.No. 25366.
	 
	              07.01.2009
Ask the unit to submit an affidavit stating that they have removed machinery & equipments related to pickling and rerolling activity.
            25.02.09
Issue reminder to submit an affidavit stating that they have removed machinery & equipments related to pickling and rerolling activity.
	Unit has submitted a letter on 29.07.2008 and informed that they have closed down the pickling activity from 23.07.2008 and requested to refund the BG of Rs. 20.000.
Letter issued. No reply received.
	Issue final reminder to  the unit to submit an affidavit stating that they have removed machinery & equipments related to pickling and rerolling activity.. Call on 28.05.2009

	170
	152c
	WP
	VISHAL INDS
	A-64 GR 
	Stainless Steel cold Re-rolling without Pickling & Annealing
	300-400 Kg/day
	 
	 
	CTR applied 13.10.2008 vide ID No. 27779.
	 
	              17.11.2008
M/s Vishal Inds & M/s Batra Inds located in the same premises have already applied. 
                07.01.2009
Call on 25.02.2009
           25.02.09
Call on 15.04.2009.
	CTR applied 13.10.2008 vide ID No. 27779.
	Ask the unit to apply for Consent to Establish. Call on 28.05.2009

	171
	153
	WP
	NARESH JAIN
"VIJENDER" (SATISH GUPTA)
	B-72/4
	Pickling & Rerolling of S.S. Sheets
	 
	 
	CTE applied on 28.12.2007vide ID no. 24603 in the name Bijendar Jain for acitivity Cold Re-rolling of S.S. Sheet.
	CTO applied on 28.08.2008 vide ID no. 27109
	 
	                17.11.2008
Reminder for reply to Satish Gupta. Call on 03.12.2008
               07.01.2009
Put up administratively.
              25.02.09
Ask the unit to submit affidavit that no pickling will be done and acid will not be stored. Call on 15.04.09
Ask the unit namely Satish Kumar Gupta to correct the deficiencies observed by SIT.  
	Letter issued. Affidavit submitted on 15.04.09 for not carrying out pickling activity &" acid will not be stored..
	Call on 28.05.2009

	172
	 
	 
	Satish Kumar
	B-72/4
	Annealing
	 
	 
	CTE on 28.08.2008 vide 27109
	 
	 
	                17.11.2008
Reminder for reply to Satish Gupta. Call on 03.12.2008
               07.01.2009
Put up administratively.
              25.02.09
Ask the unit namely Satish Kumar Gupta to correct the deficiencies observed by SIT.  
	Letter issued. Reply received on 15.04.09 for correction of SIT deficiencies.
	Ask the unit to file stack monitoring report from approved laboraory of DPCC. Call on 28.05.2009

	173
	158
	WP
	Ramesh & Ganesh Pickling Works 
	B-21/1
	 
	 
	 
	 
	 
	 
	                 05.11.2008
SIT report indicates that unit is found not functional. This information may be brought to the notice of the court.
During the inspection, another unit in the name of M/s  Ish kumar is operating there. Issue notice for applying for Consent to Establish and confirmation about ETP mentioned in the SIT report.  
Call on 03.12.2008
                  07.01.2009
Call on 25.02.2009
 25.02.09
Call on 15.04.2009
	Ish Kumar is listed below:
Complaint was filed before MM as part of Maily Yamuna drive. During the review meeting, by Chairman, DPCC on 30.12.2008. To discuss District Court cases it was decided to place the case in today's meeting.
	Legal Cell to ensure compliance of the decision of CMC dated 05.11.2009. Remove from the list.

	174
	160
	WP
	Supreme Industries, 
	B-68/4
	Re-rolling & pickling of stainless steel
	 
	 
	 
	 
	 
	                   07.01.2009
SIT inspection found three new units. (i) Ask M/s Sunbeam Electrical Industries to correct the deficiencies and submit CTE application. (ii) Ask Anjali Steel to apply for CTE and to correct the deficiencies observed by the SIT (iii) Ask Sh. Mahavir Prasad to apply for CTE and to correct the deficiencies observed by the SIT 
               25.02.09
Ask the landlord of the premises to give an affidavit stating that no unit exists in the name of Supreme Industries, all machineries & plant are removed, and also take prior permission from DPCC before establishing new unit at the premises.
For Simpy Associate Paste the letter on the premises
	Letter issued to Simpy Associates which is returned back undelievered. Letter pasted.
Letter issued to supreme industries returned back undelievered.
	Letter be pasted. Call on 28.05.2009

	175
	96
	WP
	A.N. Steel Industries
	A-95
	Re-Rolling of S.S.Sheets(Pickling stopped)
	15 tonnes / month (as per inspection report)
	Not sought
	CTE on 06.09.2007 vide I.D. No. 23391.
	CTO refused on 31.07.2006
Not applied for CTO. 
	 
	        07.01.2009
Issue reminder for compliance. Call on 25.02.2009
          25.02.09
issue reminder for compliance
	Reminder issued
No complinace report received.
	Issue reminder for seeking compliance report. Call on 28.05.2009

	176
	106
	WP
	Bhagwati Industries
	A-101/5
	unit closed 
	Not Mentioned 
	unit closed 
	unit closed 
	CTO obtained on 22.02.2004 (valid upto 01.08.2005)
Not applied for CTO. 
	_
	             21.10.2008
Issue reminder for compliance. Call on 03.12.2008
             07.01.2009
Issue reminder for compliance. Call on 25.02.2009
         25.02.09
Issue reminder for compliance.
	Reminder issued. No compliance report received.
	Issue reminder for seeking compliance report. Call on 28.05.2009

	177
	107
	WP
	Om Steel Rolling Works
	A-96/10
	No Indl Activity observed(Premises is being used for godown & One Transport Company exists)
	Activity Obsersved (as per Inspection Report)
	_
	 
	CTO refused on 18.08.2007  vide refusal no. 1659
	 
	            07.01.2009
Issue reminder seeking compliance report from DJB and MCD.
     25.02.09
Issue reminder seeking compliance report from DJB and MCD.
	Reminder issued. No compliance report received.
	Issue reminder for seeking compliance report. Call on 28.05.2009

	178
	110
	WP
	Sun Flower Steel Industries
	A-81/1
	Unit closed & shifted.No Indl Activity observed. Premises found vacant
	Not Mentioned 
	unit closed 
	Unit closed
	CTO refused on 12.05.04
	_
	          07.01.2009
Issue reminder seeking compliance report from DJB and MCD.
           25.02.09
Issue reminder seeking compliance report from DJB and MCD.
	Reminder issued. No compliance report received.
	Issue reminder for seeking compliance report. Call on 28.05.2009

	179
	111
	WP
	Swastik Enterprises
	B-63
	Pickling of SS sheets (Unit found closed, Pickling not found at site)
	Not Mentioned 
	unit closed 
	Unit closed
	CTO refused on 20.01.2006
	_
	           07.01.2009
Issue reminder seeking compliance report from DJB and MCD.
Paste the letter issued to M/s Vrinda Enterprises.
         25.02.09
Issue reminder seeking compliance report from DJB and MCD.
Paste the letter issued to M/s Vrinda Enterprises.
	Refusal Letter issued in the case of M/s Vrinda Enterprises issued which is returned back undelivered. Letter pasted. No reply received
Reminder issued, no compliance received.
	Issue reminder for seeking compliance report. Call on 28.05.2009

	180
	112
	WP
	Sh. Charat / Sadanand (Proprietor  of pickling unit )
	C-55/1 (front portion )
	Pickling of S.S.Sheets
	 
	BG not submitted.
	 
	_
	 
	         07.01.2009
Issue reminder seeking compliance report from DJB and MCD.
        25.02.09
Issue reminder seeking compliance report from DJB and MCD.
	Refusal Letter issued in the case of M/s Vrinda Enterprises issued which is returned back undelivered. Letter pasted. No reply received
Reminder issued, no compliance received.
	Issue reminder for seeking compliance report. Call on 28.05.2009

	181
	115
	WP
	Jagdish & Co.
	C-39/1
	Unit Closed
	 
	 
	 
	CTO refused on 04.11.2004.
	 
	            07.01.2009
Ask the landlord to submit an affidavit stating that all plant / machinery, raw material / other goods have been removed from the premises and premises is vacant.
           25.02.09
Paste letter on the premises and Issue reminder to the landlord for compliance of CMC decision dated 07.01.2009.
	Letter pasted & reminder issued, Reply received on 13.04.2009, landlord has submitted the affidavit stating that al plants, machinery, raw materials related to M/s Jagdish & Co. have been removed from the premises, no goods or material belongs to jagdish & Co.
	Remove from the list.

	182
	141a
	WP
	MOONLIGHT TRADING 
	C-55/1
	Re-Rolling and Pickling of SS Sheets.
	600 tonnes/ annum as per CTE application. 
	BG of Rs. 20,000 submitted dated 14.12.04 and valid upto 13.12.05 
	 
	CTO (R) refused on 07.08.2007 vide refusal no. 1645
Not applied for CTO. 
	 
	              07.01.2009
Issue reminder for compliance. Call on 25.02.2009
              25.02.09
Issue reminder for compliance. 
	A letter was submited by the landlord & informed that M/s Moon light has shifted to C-17/2 & there is no electricity connectuion  in the name of moon light . Copy of the closure order of moon light enclosed. so requestiung to revoke the power/water disconnection order.
	SIT-I to inspect and report. Call on 28.05.2009

	183
	155a
	WP
	S.S. ENTERPRISES 
	B-36
	Pickling,  Re-rolling of S.S.Sheet
	1200 tonesof treated s,s,steel/anum
	 
	CTO on 09.09.2004 vide I.D No. 11585.
	 
	 
	             07.01.2009
Issue reminder to DJB for compliance. Call on 25.02.2009
          25.02.09
Issue reminder to DJB for compliance.
	Letter issued to DJB & no reply received.
	Issue reminder for seeking compliance report. Call on 28.05.2009

	184
	1
	WO
	Him Giri Cars Pvt. Ltd
	B-99
	Sales Service And Spares
	30 cars (as per inspection report)
	BG of Rs. Two Lakh submitted on 22.11.2007
Revalidated BG on 10.04.2008
	CTE on 22.11.2007 vide I.D. No. 24289.
	CTO on 14.03.2005 vide I.D. No. 12976. 
	Applied on 21.05.2008 vide I.D.No. 1049.
	             07.01.2009
he following deficiencies were observed during the inspection by SIT:-
(i) ETP found installed. No proper approach and platform attached / installed with ETP. ETP sludge is being not removed regularly. Foul smell observed around ETP area. 
(ii) Waste oil was not found managed properly. Spillage observed around waste oil collection area. 
(iii) Proper ECS should be installed in car body rubbing area / paint rubbing area 
(iv) 2 borewells exist at site. No CGWA clearance. 
(v) Hazardous waste should be managed as per provisions of HW Rules. 
Ask the unit to correct the deficiencies noted by SIT as above and submit an affidavit in this regard. Call on 25.02.2009.
              25.02.09 
Ask the unit to file CGWA clearance and affidavit & photographs of ETP. Call on 15.04.2009
	Permission from CGWA not submitted.Unit has informed on 15.12.2008 that they have applied in CGWA but CGWA has informed that the existing industries do not come under the purview of CGWA clearance (copy enclosed).
Letter issued. No reply received.
	Issue final reminder to  the unit to file DJB clearance for ground water extraction, affidavit for correction of deficiencies and photographs of ETP. Call on 28.05.2009

	185
	2
	WO
	M.M. Bros Merry Maker Banquet Hall
	C-91/4
	Banquet Hall
	150 Seats (as per inspection report)
	BG of Rs. One Lakh under HWM Rules on 23.11.2007.
	CTE obtained on 15.04.2008 (valid upto 14.04.2009) as per CMC decision dated 28.03.2008
	CTO(R) on 31.08.2005 vide I.D. No. 16247.
Not applied for CTO(R).
	Applied on 15.11.2006 vide I.D. No. 1092.
	          07.01.2009
Ask the unit to file fully compliance of CMC decision dated 17.11.2008 . Call on 25.02.2009
                   25.02.09
Ask the unit to fully comply with CMC(O) decision dated 17.11.2008 and submit compliance report. Call on 15.04.2009
	Letter issued. Reply received on 16.04.2009..
	Ask the unit to file full compliance of CMC decision dated 17.11.2008. Call on 28.05.2009

	186
	3
	WO
	R.K. Metal Industries
	A-99/3
	Mfg of Copper & Brass Sheet with casting & washing 
	150 Kg (as per inspection report)
	BG of Rs. Two Lakh submitted on 07.12.2007 and alos revalidated up to 06.02.2010.
	CTE obtained on 15.04.2008 (valid upto 14.04.2009) as per CMC decision dated 28.03.2008
	CTO obtained on 07.08.2000. Valid upto 24.07.2003. CTO(R) on 12.10.2006 vide I.D. No. 19553. 
	Applied for renewal of authorization on 12.07.2006 vide I.D. No. 2759.
	             07.01.2009
Ask the unit to install Effluent Treatment Plant (ETP) as per the previous adequacy report. Call on 25.02.2009
                      25.02.09
Ask the unit to install flow meter as advised in the adequacy report. Call on 15.04.2009
	Letter issued.
Reply received stating that flow meter has been installed and requested for CTO ( R) 
	Issue renewal of conent. Call on 28.05.2009

	187
	4
	WO
	Rameshwar Foods
	A-94/4
	Mfg of Sweets& Namkeen
	500 Kg (as per inspection report)
	BG of Rs. 50,000 submitted.
	CTO(R) obtained on 14.06.2006. valid upto 25.07.2008.
	CTO(R) obtained on 14.06.2006. valid upto 25.07.2008.
	Not applicable
	             17.11.2008
Issue notice for closure. Call on 03.12.2008
            07.01.2009
Time allowed to the unit to install ETP. Ask the unit to file first interim report . Call on 25.02.2009
             25.02.09
Call on 15.04.09.
	Notice for closure issued.
Reply received on 10.12.2008. Unit has informed that they are in process to install ETP, so requesting to give 2-3 months time for ETP installation.
Letter issued. Reply received stating that order has been placed for installation of ETP.
	Ask the unit to install ETP and submit adequacy report from empanelled consultant of DPCC by 28.05.2009. Call on 28.05.2009

	188
	5
	WO
	Pawa International Pvt. Ltd. 
	C-93
	Service Station
	14-17 cars (as per inspection report)
	BG  submitted.
	CTE obtained on 08.10.2003. Valid upto 06.10.2004. 
	CTO on 25.02.2005 vide I.D. No. 12788.
	Applied on 25.02.2005.
	       07.01.2009
Issue reminder to the unit to file CGWA clearance. Call on 25.02.2009.
25..02.09
Issue final reminder for submission of CGWA clearance. Call on 15.04.2009
	Permission from CGWA not submitted.
Reminder issued. No reply received.
	Ask the unit to submit permission from DJB for ground water extraction. Call on 28.05.2009

	189
	6
	WO
	Deep (India) Pvt. Ltd.
	B- 72/4
	Service Station
	30 cars (as per inspection report)
	Submitted 3 lakhs valid up to 06.02.2010
	 CTE obtained on 26.08.2004. Valid upto 27.06.2005. 
	CTO on 23.03.2005 vide I.D. No. 13162.
	Applied on 28.03.2005 vide I.D. No. 2336.
	             07.01.2009
Call on 25.02.2009
25.02.09
Issue Conent to Operate. Call on 15.04.2009
	Permission from CGWA submitted. 
CTO issued.
	No action.

	190
	7
	WO
	Dr.Jagdish Lal Sethi
	A-95/1
	Aeralyic Dental Powder
	3 tonnes / month (as per inspection report)
	Submitted valid up to 06.02.2010
	CTO obtained vide consent order no. 15714. Valid upto 25.09.2008.
	CTO (R)  obtained on 19.06.2006 vide consent order no. 15714. Valid upto 25.09.2008.
CTO (R) applied on 22.10.2008 vide ID No. 27902.
	Applied for renewal on 29.08.2006 vide I.D.No. 3479.
	            17.11.2008
Ask the unit to file photographs of ECS and provide small ETP for effluent generated from nickle plating. Call on 03.12.2008
            07.01.2009
Call on 25.02.2009
          25.02.09
Issue Conent to Operate (Renewal). Call on 15.04.2009
	Letter issued. Reply along photographs received on 12.01.2009.
Renewal of consent not issued as certain discrepancies were found.
Decision needs review by CMC(O).
	SIT-I to inspect and report. Call on 28.05.2009

	191
	8
	WO
	Super Dental Product
	A-95/1
	Acrlyic Dental Teeth
	_
	Submitted valid up to 06.02.2010
	CTO obtained on 12.09.2006 vide consent order no. 16799. Valid upto 08.07.2008
	CTO (R) issued on 03.11.2008 vide Con. No. 19134 valid upto 08.07.2011
	Not applicable
	           07.01.2009
No action. 
        25.02.09
No action.
	CTO (R) issued on 03.11.2008 vide Con. No. 19134.
	No action.

	192
	9
	WO
	Shalimar Motors
	C-91/9
	Service Station
	4 cars per day
	Submitted
	Consent obtained two times
	CTO (R) obtained on 22.11.2005 valid up to 11.01.07
CTO (R)  obtained on 07.05.2008 valid upto 19.03.2010.
	Applied for renewal of auth on 06.11.06
	            17.11.2008
SIT to inspect and report. Call on 07.01.2009
            07.01.2009
Call on 25.02.2009 with SIT report.
              25.02.09
Deficneices noted this time are similar to last time. Issue notice for forfeiture of Bank Guarantee. Call on 15.04.2009
	Reply received on 26.02.2009. Unit has informed that the concerned person is not available at the time of inspection. Quantity of the effluent is very low so batch treatment is done and chemicals added manually. The hazardous waste was kept as per the HWM Rules. Waste oil drum has been properly stored. Bore well is registered & copy is enclosed. Log book is being maintained & copy enclosed.
Letter issued, Reply received on 17.04.09..
	Forfeit Bank Guarantee under Water Act and HWM Rules. Call on 28.05.2009

	193
	10
	WO
	Speculum Finish
	Shed no. 20  (DSIDC Sheds)
	Electroplating 
	13000-15000 pieces (as per HWM affidavit)
	BG of Rs. 3 Lakhs submitted.
	Consent obtained two times
	CTO (R) applied on 01.10.2008 vide ID No. 27645
CTO ( R)  obtained vide consent order no. 11749. Valid upto 18.03..2007.
	Applied for renewal for authorization on 05.09.2006 vide I.D. No. 3540.
	               07.01.2009
Call on 25.02.2009
             25.02.09
Issue renewal of consent. Call on 15.04.2009
	Permission from CGWA not submitted. Unit has informed earlier  that they do no have any borewell and using only DJB connection for process and as well as for drinking.
Renewal of Consent issued.
	Issue renewal of authorization under HWM Rules. Call on 28.05.2009

	194
	11
	WO
	Benlon (India) Ltd.
	A- 68, Group
	Dyeing of synthetic yarns
	1 tonnes (as per affidavit)
	BG of Rs. 50000 each under HWM Rules, Air Act & Water Act.
	Consent obtained two times
	CTO(R)  obtained on 01.05.2006. Valid upto 30.04.2009.
	Applied for renewal of authorization on 07.08.2006 vide I.D. No. 3183..
Authorization issued on 03.11.2008 valid upto 2.11.2009
	              07.01.2009
No action. 
              25.02.09
No action.
	Applied for renewal of consent on 13.03.2009 vide ID No. 29233. 
Consent obtained twice earlier.
Earlier consent was valid upto 30.4.09.
	Issue renewal of consent. Call on 28.05.2009

	195
	12
	WO
	Prem Electroplating
	B-28/5
	Electroplating & Buffing
	Job Work
1500 Kg/month as per affidavit
	BG Submiteted on 07.04.2008.
	CTE obtained on 07.05.2008 (valid upto 06.05.2009) as per CMC decision dated 24.04.2008
	CTO (R) obtained on 10.03.2004 vide consent order no. 9850 (valid upto 11.12.2006)
Not applied for CTO(R) 
	Applied for renewal on 28.7.06 vide ID No. 2984.
Refused.
	        07.01.2009
No action.
      25.02.09
Call on 15.04.09.
	 
	No action.

	196
	13
	WO
	Richi Rich Restaurant (P) Ltd.
	A - 7
	Restaurant Cum Banquet Hall 
	65 Seats (as per inspection report)
	BG submitted.
	CTE on 08.10.2007 vide I.D. No. 24178.
	 
	Applied on 08.11.2007 vide I.D. No. 4415.
	              07.01.2009
Ask the unit to file full compliance of CMC decision dated 17.11.2008 . Call on 25.02.2009
                 25.02.09
Ask the unit to do full compliance of the CMC(O) decision dated 17.11.09. Call on 15.04.2009
	Letter issued.
Reply received on 16.04.09.
	Ask the unit to do full compliance of the CMC(O) decision dated 17.11.09. Call on 28.05.2009

	197
	14
	WO
	RCI industries & Technologies Ltd.Unit All Heavens
	B-97
	Resturant & Bar
	200 Seats (as per inspection report)
	BG under Water Act only submitted.
BG of Rs. 1 Lakh under Air Act submitted.
	CTE on 10.04.2008 vide I.D. No. 25460.
	 
	Not applicable
	              17.11.2008
Ask the unit to submit an affidvit for correction of deficiencies observed by SIT during inspection. Also ask the unit to take the following measures : (i) Rain Water Harvesting System (ii) Solar Water Heating System (iii) Organic Waste Composting Plant (iv) Large Scale Plantation (v) Use of CFL for energy conservation (vi) Biological ETP. Call on 03.12.2008
             07.01.2009
Ask the unit to file full compliance of CMC decision dated 17.11.2008 . Call on 25.02.2009
               25.02.09
Issue final reminder to correct all the deficiencies. Call on 15.04.2009
	Letter issued. Reply received on 21.04.2009 from all heavens & unit has informed that they have corrected the SIT deficiencies. CGWA clearance submitted.
	Ask the unit to submit an affidavit for correction of deficiencies as informed by the unit vide its earlier reply. Call on 28.05.2009

	198
	17
	WO
	Jaquar  Co. Ltd (Unit -2)
	A - 6
	Bathroom Fittings  ( Including Casting , Electroplating & Buffing)
	65000 Pcs/month
	BG of Rs. 01 Lakh each submitted under Air, Water & HWM Rules valid upto 06.02.2010.
	CTE issued on 22.07.08 (valid upto 21.07.2009)
	Applied for CTO(R) on 10.01.06 vide I.D. No. 17478.
CTO (R ) applied under Orange category on 14.01.2009 vide ID no. 28669.
	Applied for renewal on 05.7.2006 vide I.D. No. 2729.
Applied for renewal of authorization on 01.07.2008 vide I.D. No. 4608.
	           07.01.2009
SIT to inspect and report. Call on 25.02.2009
              25.02.09
Ask the unit to file adequacy report of ECS and to adopt mechanical dosing system and maintain the hazarodus waste as per HWM Rules and use proper filter press. Call on 15.04.2009
	CTR and Authorization application is pending.
Letter issued, Reply received on 16.04.09. Adequacy Report submitted, ordered 3 dosing pumps, Hazardous waste stored as per the HWM rules, clad & cloth filter press has been upgraded.
	Issue renewal of consent and authorization under HWM Rules. Call on 28.05.2009

	199
	18
	WO
	Mohan's Leela Banquet
	A-8/3
	Banquet Hall
	20 days / month (as per inspection report)
	BG of Rs. 01 Lakh each submitted under Air, Water & HWM Rules valid upto 06.02.2010.
	CTE obtaind on 07.05.2008 (valid upto 06.05.2009) as per CMC decision dated 24.04.2008
	CTO on 26.07.2002 vide I.D. No. 5473. Unit has deposited three years fee on 21.08.2006 as sought by DPCC in continuation of earlier CTO application dated 26.07.2002.
	Applied for renewal on 31.10.2005 vide I.D. No. 2524.
	         07.01.2009
Issue final reminder to file latest adequacy report of ETP at  full occupancy. Call on 25.02.2009
         25.02.09
Call on 15.04.09.
	Letter issued. 
Reply received on 11.02.2009 & informed that it had submitted  bank draft of Rs. 16,000 in the GGSI University for adequacy report (copy enclosed), Adequacy report is in progress as soon as it get the adequacy report, same will be submitted and requested to give 3 week time to submit latest adequacy report.
	Call on 28.05.2009 with adequacy report.

	200
	19
	WO
	Essco Sanitations
	C-58/1
	Electroplating & Buffing(Manufacturing of bathroom fittings involving electroplating,buffing & grinding) 
	2000 pieces (as per applicaton form)
	BG of Rs. 01 Lakh each submitted.under Ait, Water & HWM valid upto 06.02.2010.
	CTE obtained on 22.07.2008 (valid upto 21.07.2009)
	CTO(R) on 19.07.2005 vide I.D. No. 15264.
CTO (R) on 22.07.2008 vide I.D. No. 26648
	Applied for renewal of authorization on 05.07.2006 vide I.D. No. 2730.
Applied for renewal of authorization on 01.07.2008 vide I.D. No. 4609.
	        07.01.2009
SIT to inspect and report. Call on 25.02.2009
        25.02.09
Ask the unit (i) to connect its outlet to the convyeance system of CETP and file an affidavit in this regard (ii) to file adequacy report of ECS & ETP.Call on 15.04.2009
	Letter issued, Reply received on 16.04.09, Unit has informed that they have connected to the conveyance system of CETP & submit an affidavit in this regard. AR of ETP & ECS submitted..
	Monitoring report of water effluent from electroplating section be submitted and adequacy report of ETP of electroplating section. Call on 28.05.2009

	201
	21
	WO
	Naresh Industries
	A-52, Group
	Dyeing and bleaching of cotton  fabrics.
	300 Kg (as per affidavit)
	BG of Rs. 50000 under Water Act & HWM Rules submitted valid upto 06.02.2010.
	CTE issued on 07.11.2008 vide Con. No. 19142 valid upto 06.11.2009.
	CTO(R) on 20.03.2006 vide I.D. No. 17926.
	Applied for renewal of authorization on 09.08.2006 vide I.D. No. 3249.
	          07.01.2009
No action. 
          25.02.09
No action.
	As per CMC decision, CTE issued.
	Ask the unit to apply fresh application for renewal of consent. Call on 28.05.2009

	202
	23
	WO
	Anand Electro Engineering
	B-67/1
	Electroplating (Job work) with buffing.
	200 Kg/day (as per inspection report)
	Bank Guarantee of Rs. 50000 Lakh each under Water Act & HWM Rules submitted valid upto 06.02.2010.
	 
	CTO on 11.04.2005 vide I.D. No. 13513
CTO on 26.04.2005 vide I.D. No. 13747.
CTO on 29.05.2008 vide I.D .No. 25883
	Applied on 12.04.2005 & 11.08.2006 vide I.D. No. 2378 & 3287 respectively.
	            07.01.2009
Call on 25.02.2009 with CGWA clearance.
     25.02.09
Refer to CEO, DJB for opinion on the permision required for ground water extraction.Call on 15.04.2009
	Common letter issued to DJB on 06.04.09 & reply is yet to recived . 
	Call on 28.05.2009

	203
	24
	WO
	Apex International, 
	B-69/1
	Manufacturing of piston rings (involving electroplating, grinding phosphating and buffing)
	200 Kg (as per inspection report)
	BG of 3 Lakhs submitted.
	CTE on 22.05.2008 vide I.D.No. 25803.
	CTO(R) on 01.03.2007 vide I.D. No. 20760.
	Applied for renewal of authorization on 27.10.2006 vide I.D. No. 3986.
	         07.01.2009
Issue notice for forfeiture of Bank Guarantee of Rs. 1 Lakh each under all the three Acts and notice for closure in view of the deficiencies noted by SIT during the inspection. Call on 25.02.2009.
       25.02.09
Ask the unit to file full compliance. Call on 15.04.2009
	Letter issued, Reply received on 23.04.09.
	Forfeit Bank Guarantee under all the three acts. Call on 28.05.2009

	204
	25
	WO
	Bright Electroplating Industries
	C-5/2
	Electroplating
	Job work 
	BG of Rs. 01 Lakh submitted each under Air, Water, & HWM valid upto 06.02.2010.
	Not required
	CTO(R) on 16.04.2004 vide I.D. No. 10329
CTO(R) obtained on 10.09.2008 vide consent order no. 18773 (valid upto 06.02.2010)
	Applied for renewal of authorization on 17.10.2006 for 3924.
	        07.01.2009
No action. 
        25.02.09
No action.
	Renewal of consent issued.
	Issue authorization under HWM Rules. Call on 28.05.2009

	205
	26
	WO
	Celebration Banquet
	A-16/3
	Banquet Hall
	125 days / year (as per inspection report)
	BG of Rs. 01 Lakh submitted each under Air, Water & HWM on 10.04.2008 valid upto 06.02.2010..
	CTE on 11.04.2008 vide I.D. No. 25482.
	CTO on 02.05.205 vide I.D. No. 13856.
CTO(R) obtained on 18.03.2004 vide consent order no. 9919 (valid upto 05.09.06)
Not applied for CTO(R).
	Applied on 04.05.2005 & 17.10.2006 vide I.D.No. 2398 & 3913 respectively.
	             07.01.2009
Issue reminder to the unit to submit  pending documents as sought earlier. Call on 25.02.2009.
            25.02.09
Refer to CEO, DJB for opinion on the permision required for ground water extraction.Call on 15.04.2009
	Common letter issued to DJB on 06.04.09 & reply is yet to recived . 
	Call on 28.05.2009

	206
	27
	WO
	Continental Car Scanning Centre
	B-72/4
	Service Station
	3-4 cars (as per inspection report)
	Submitted Rs. 50000/- on 14.5.08 under HWM Rules valid up to 06.02.2010
	CTE on 19.03.2008 vide I.D. No. 25270.
	CTO(R) obtained on 23.02.2004 (valid upto 26.11.2006) 
CTO(R) on 18.04.2007 vide I.D. No. 21059.
	Applied for renewal of authorization on 01.08.2006 vide I.D. No. 3032.
	            07.01.2009
Call on 25.02.2009
           25.02.09
 Refer to CEO, DJB for opinion on the permision required for ground water extraction.Call on 15.04.2009     
	Common letter issued to DJB on 06.04.09 & reply is yet to recived . 
	Call on 28.05.2009

	207
	28
	WO
	Rafik Kitchen Accessories (previously as Rafiq Electroplating),
	C- 60/5
	Electroplating (Job work of Ni- Cr plating) and buffing.
	4000 Kg / month ( as per affidavit)
	Submitted 50,000/- each under Water Act and HWM Rules on 14.5.08 valid upto 06.02.2010.
	CTE on 30.04.2008 vide I.D. No. 25616.
	CTO on 17.05.2007 vide I.D. No. 21382.
	Appied on 17.05.2007 vide I.D. No. 4289.
	         07.01.2009
Insist the unit to file CGWA clearance. Call on 25.02.2009.
          25.02.09
Refer to CEO, DJB for opinion on the permision required for ground water extraction.Call on 15.04.2009
	Common letter issued to DJB on 06.04.09 & reply is yet to recived . 
	Call on 28.05.2009

	208
	29
	WO
	Raunaq Motors
	B-89
	Service Station
	10 cars ( as per AR)
	BG of Rs. 03 Lakhs submitted under Air, Water & HWM valid upto 06.02.2010.
	Applied for CTE on 20.03.2008 vide I.D. No. 25277.
	CTO(R) on 04.09.2008 vide I.D.No. 27206.
	Applied for renewal of authorization on 07.08.2006 vide I.D. No. 3177.
	              07.01.2009
Call on 25.02.2009 with CGWA clearance.
          25.02.09
Refer to CEO, DJB for opinion on the permision required for ground water extraction.Call on 15.04.2009
	Common letter issued to DJB on 06.04.09 & reply is yet to recived . 
	Call on 28.05.2009

	209
	30
	WO
	U.S. Enterprises
	B-72/3
	Electroplating (job work ) with buffing 
	1500 parts (as per inspection report)
	Submitted 3 lakhs valid up to 06.02.2010
	CTE on 22.05.2008 vide I.D. No. 25799.
	CTO obtained. Valid upto 22.08.2007. CTO(R) on 22.08.2007 vide I.D. No. 23224.
	Authorization obtained. Valid upto 30.07.2008.
Applied for renewal of authorization on 21.07.2008 vide I.D. No. 4642.
	          07.01.2009
Unit to install separate dosing tanks for sodium meta bi-sulphide and caustic soda as well as proper mixing device and water connection. Call on 25.02.2009
         25.02.09
Ask the unit to file adequacy report. Call on 15.04.2009
	Unit has submited a letter on 17.03.2009 & informed that they have installed seperate dosing tank & there is no need to install seperate dosing tank for sodium meta bi-sulphide.
Letter issued, Reply received on 15.04.09 along with an adequacy report..
	Ask the unit to submit fresh adequacy report from empanelled consultant of DPCC. Call on  28.05.2009

	210
	31
	WO
	Rana Motors Pvt. Ltd.
	A-3
	Service Station
	25-30 cars (as per inspection report)
	Revalidated BG submitted of Rs. 01 lakh each under Air, Water & HWM valid upto 20.11.2010.
	CTE obtained on 13.03.2008 (valid upto 12.03.09)
	CTO refused on 09.10.2007. 
Not applied for CTO. 
	Refused on 09.10.2007. Applied on 23.01.2008 vide I.D. No. 4469.
	                   07.01.2009
Insist the unit to file CGWA clearance. Call on 25.02.2009.
             25.02.09
Ask the unit to apply for Consnet to Operate & Refer to CEO, DJB for opinion on the permision required for ground water extraction.
	Common letter issued to DJB on 06.04.09 & reply is yet to recived . 
Reply received from the unit on 15.04.09, Unit has informedthat they are in process for applying for Consent, so reqesting more time.
	Issue final reminder to apply for consent to operate. Call on 28.05.2009

	211
	36
	WO
	R. K. Hosiery
	A-69, Group
	Dyeing and bleaching of cotton hosiery fabric.
	Not Mentioned 
	Not sought
	CTE under Green Category on 14.12.2007 vide I.D. No. 24494.
	CTO (R) obtained on 18.11.2005. Valid upto 29.11.2007
Not applied for CTO(R).
	Applied for renewal of authorization on 02.08.2006 vide I.D. No. 3067.
	           07.01.2009
Ask the unit to provide acoustic enclosure and stack height with the D.G. Set. Also ask the unit to apply for renewal of consent. Call on 25.02.2009
          25.02.09
Issue reminder to the unit to apply for Renewal of Consent and submit the affidavit that D.G. Set has been disposed off.
	Letter issued, Reply received on 15.4.09, unit has informed that the DG set in the premises is without connection. It is non working & unit is in process to selling it. Unit has valid CTE under Grren category who date of expiry is 11.01.2010, all this statment is submitted on an affidavit. Unit has also told that if there activity is came under green category then why case was discussed in Orange category. 
	Ask the unit to submit an affidavit stating that D.G. Set has been disposed off. Call on 28.05.2009.

	212
	38
	WO
	Tonika Automobiles
	A-15
	Service Station
	 
	 
	 
	CTO(R) obtained on 30.10.2007 (valid upto 24.04.2010)
	 
	            07.01.2009
Call on 25.02.2009 with SIT report.
           25.02.09
Ask the unit to correct the deficiencies observed by SIT. Call on 15.04.09
	Letter issued, Reply received on 15.4.09 for correction of SIT deficiencies along with photographs..
	Ask the unit to submit an affidavit for correction of deficiencies as informed by the unit vide its earlier reply. Call on 28.05.2009

	213
	40
	WO
	POLYLACE INDIA PVT. LTD.
	A-107
	Zip Fasteners  
	1400 Rolls/Day
	 
	 
	CTO(R) obtained on 18.11.2005 (valid upto 20.07.2008)
CTO (R) on 23.06.2008 vide I.D. No. 26125.
	 
	           07.01.2009
Call on 25.02.2009 with CGWA clearance.
           25.02.09
Refer to CEO, DJB for opinion on the permision required for ground water extraction.Call on 15.04.2009
	Common letter issued to DJB on 06.04.09 & reply is yet to recived . 
	Call on 28.05.2009

	214
	43
	WO
	GEM SANITARY APPLIANCES 
	A-57
	Bathroom Fitting (Ni, Cr Plating & Casting)
	450 Pcs/Day
	BG of Rs. 1 lakh each under Air & Water Act submitted valid upto 06.02.2010.
	 
	CTO(R) granted on 18.07.06 and valid upto 26.06.09.
CTO(R) granted on 29.07.03 and valid upto 28.07.06.
	Authorization granted. Valid upto 17.02.2010
	             07.01.2009
Issue reminder to the unit to submit Bank Guarantee of Rs. 1 Lakh each under Water Act, 1974 and Air Act, 1981  valid upto 06.02.2010 and CGWA clearance.
          25.02.09
Call on 15.04.2009
	Letter issued. Reply received on 02.12.2008. Unit has informed that:-
1. They have corrected the SIT deficiencies and submitted an affidavit in this regard.
2. Applied in CGWA clearance vide Reg. No. DLOFAL/38006. (copy enclosed)
Letter issued. Reply received on 13.02.2009 & BG of Rs. 1 lakh each under Air & Water Act submitted valid upto 06.02.2010.
Permission from CGWA submitted on 13.02.2009
	No action.

	215
	44
	WO
	TONI INDUSTRIES PVT. LTD. 
	A-58
	Manufacturing of zip sliders with painting and electroplating
	1000 packets / day as per affedavit.
	 
	 
	CTO ( R) granted on 18.07.06 and valid upto 07.07.09 vide consent order no.16269.
	Authorization granted. Valid upto 07.08.2009.
	              07.01.2009
Issue reminder to the unit to submit Bank Guarantee of Rs. 50,000 each under Water Act, 1974, Air Act, 1981 & HWM Rules valid upto 06.02.2010 and CGWA clearance.
             25.02.09
Refer to CEO, DJB for opinion on the permision required for ground water extraction & Issue reminder to the unit to submit Bank Guarantee of Rs. 50,000 each under Water Act, 1974, Air Act, 1981 & HWM Rules valid upto 06.02.2010
	Letter issued. Reply received on 13 .04.2009 & it was informed that the unit is fully complying with Water, Air & HWM Acts/Rules & also due to market slowdown it is not possible to submit the BG so requesting to look the matter sympathically as the unit is fully complying with the DPCC..
	Issue final reminder to the unit to submit Bank Guarantee of Rs. 50,000 each under Water Act, 1974, Air Act, 1981 & HWM Rules valid upto 06.02.2010. Call on 28.05.2009

	216
	46
	WO
	DELHI HEAT TREATMENT
	SHED-16
	heat treatment
	60 ton/annum
	Bank Guarantee of Rs. 50,000 each under Air, Water & HWM submitted valid upto 06.02.2010.
	 
	CTO® vide ID no 18002 granTed on 3.8.07 and valid upto 4.10.08.
Not applied for CTO (R) 
	Authorization granted. Valid upto 07.08.2009.
	             07.01.2009
Issue reminder to the unit to submit Bank Guarantee of Rs. 50,000 each under Water Act, 1974, Air Act, 1981 & HWM Rules valid upto 06.02.2010
            25.02.09
Ask the unit to apply for renewal of consent.
	Letter issued.
Reply received on 17.04.09, Unit has informed that they have applied for AR of ETP in DCE & as soon as AR received they will apply for renewal of Consent.
	Call on 28.05.2009 with renewal of consent application.

	217
	48
	WO
	SUPER SHELLS PVT. LTD.
	B-63/1
	 
	 
	 
	 
	CTO obtained on 04.03.04 (valid upto 01.08.2005)
Not applied for CTO. 
	 
	              07.01.2009
Call on  25.02.2009
           25.02.09
Ask the unit to apply for consent to operate with adequacy report.
	Letter issued, no reply received.
	Issue reminder to the unit to apply for Consent to Operate with adequacy report. Call on 28.05.2009

	218
	49
	WO
	SPARTON INDUSTRY
	A-90/4 
	Bathroom Fitting
	80mKg/day
	BG of 50,000/- each under Air, Water & HMW Act. Submitted on 01.03.08 and valid upto 6.02.2010
	CTE Granted on 28.01.08 and valid upto 27.01.09
	CTO on 08.09.08 vide I.D. No. 27250.
	 
	             07.01.2009
Call on  25.02.2009
           25.02.09
Issue Consent to Operate.
	CTO issued.
	No action.

	219
	50
	WO
	 Jasmine Industries Corporation
	C-33
	Gear & gear rings
	 
	CTE green applied on 02.07.2008 which is refused on 28.01.2009 vide refusal no. 1731
	CTE under Orange category applied on 31.12.2008 vide ID 28557
	 
	 
	                 25.02.09                                               
  Ask the unit to apply for Consent to operate.
	Letter issued, no reply received.
	Issue final reminder to apply for Consent to Establish. Call on 28.05.2009

	220
	51
	WO
	Lally Automobiles
	plot no. 3A
	washing & servicing of vehicles
	12-15 vehicles/day
	CTE applied on 11.11.2008 vide ID no. 28057
	 
	CTE applied on 11.11.2008 vide ID no. 28057
	 
	                  07.01.2009
Issue final reminder for authorization under HWM Rules. Call on 18.02.2008
               20.02.2009
Remoive from this list and put up in the list of WIA cases as it is not a shopping mall case.
	Final reminder issued for Authorization on 27.01.2009.
Reply received on 03.02.2009 & unit has applied for authorization.
	Ask the unit to file adequacy report of ETP from empanelled consultant of DPCC. Call on 28.05.2009

	221
	52
	WO
	Bajaj Autoways
	B-65
	Mfg. of clutch plates including heat treatment
	7000pcs/month
	CTO (R) obtained on 03.08.2007 vide consent no. 18001 valid upto 25.07.2008.
Applied for CTO (R) on 11.11.2008 vide I.D. No. 28075.
	 
	CTO (R) obtained on 03.08.2007 vide consent no. 18001 valid upto 25.07.2008.
Applied for CTO (R) on 11.11.2008 vide I.D. No. 28075.
	Authorization granted on 28.09.2004 vide no. 1330.
	              20.03.2009
Ask the unit to apply for authorization under HWM Rules and file permission from CGWA for extracting ground water. Shift to WIA cases. Call on 15.04.2009
	Letter issued. No reply received
	Issue final reminder to the unit to apply for authorization under HWM Rules and file permission from DJB for extracting ground water. Call on 28.05.2009

	222
	32
	WO
	Dham Dyeing & Bleaching Mills
	B-63/2
	Dyeing , Bleaching and processing of hosiery fabrics
	400 Kg (as per inspection report)
	Submitted valid up to 06.02.2010 for 3 lakhs
 BG forfeited as decided by CMC on 24.4.08.
	CTE on 18.09.2007 vide I.D. No. 23543.
	CTO obtained on 01.04.05 vide consent order no. 12458 (valid upto 30.09.2005)
Not applied for CTO.
	Auth refused on 13.9.07
	          07.01.2009
SIT to inspect and report. Call on 25.02.2009
                 25.02.09
Refuse Consent to Establish as the unit found closed during the inspection by SIT. Call on 15.04.2009
	Refusal letter issued.
	Call on 28.05.2009

	223
	53
	WO
	Krish Automotors Pvt. Ltd.
	B-62/2
	Automobile service station
	5-10vehicles/day
	 
	CTE granted on 23.01.2008 valid upto 22.01.09 vide Con. No. 18361
	CTO applied on 03.08.2007 vide ID no. 23008.
	 
	 
	As per the CMC decision dated 17.11.2008 to Northern Motors to file CGWA clearancnce, letter were issued. Reply received on 02.12.2008 from Krish automotors whrein it was informed that there is no unit in the name of Northern Motors & only krish automotors exists at the sid premises.
	Issue Consent to Operate. Also ask the unit to submit copy of DJB water supply connection. Call on 28.05.2009

	224
	47
	WO
	CRAFTMAN LABLE MAKERS PVT. LTD. 
	SHED-40
	Manufacturing of Aluminium name plates , stickers, labels etc.
	500-800 kg/ month.
	 
	 
	CTO (R) obtained on 03.08.2007 valid upto 31.05.2010
	 
	           07.01.2009
Call on 25.02.2009
           25.02.09
Ask the unit to submit an affidavit stating that the activity has been stopped. 
	Letter isssued.
Reply received
	SIT-I to inspect and report. Call on 28.05.2009

	225
	33
	WO
	Gee Aar Industries
	A-9/3
	Mfg A cotton thread, Mercerizing, and Bleaching.
	400-450 Kg (as per inspection report)
	Not sought
	CTE refused on 19.09.2008 vide refusal no. 1703.
	CTO on 23.03.2005 vide I.D. No. 13161
	 
	        07.01.2009
Issue reminder for compliance. Call on 25.02.2009
       25.02.09
Issue reminder to disom agency for compliance
	
Letter issued to discom agencies.
No compliance report received.
	Issue final reminder for seeking compliance report. Call on 28.05.2009

	226
	34
	WO
	Prem Dyeing
	A- 13
	Dyeing (Premises found closed, unit not operating) 
	Not Mentioned 
	unit closed 
	Not applied/obtained
	CTO (R) refused on 03.02.06 vide refusal no. 1007
	 
	         07.01.2009
Issue reminder for compliance. Call on 25.02.2009
        25.02.09
Issue reminder for compliance
	Letter issued.
No compliance report received.
As decided by CMC on 9.4.09, letters issued to M/s Natraj and M/s Sunshine Electronics to apply for CTE on 28.4.09.
	Issue final reminder for compliance report. 
Issue final reminder to M/s Natraj and M/s Sunshine Electronics to apply for Consent to Establish. Call on 28.05.2009

	227
	35
	WO
	Rafiq Electroplating
	C- 59/2
	Unit shifted.(Premises found vacant.)
	Not Mentioned 
	Not sought
	Not applied/obtained
	CTO refused on 07.08.2007 vide refusal no. 1644.
Not applied for CTO. 
	Refused on 07.08.2007.
	         07.01.2009
Issue reminder for compliance. Call on 25.02.2009
           25.02.09
Issue reminder for compliance
	Letter issued. 
No reply received. 
	Issue final reminder for compliance report. Call on 28.05.2009

	228
	37
	WO
	Sterling Auto Engineering
	B-69/1
	Manufacturing of piston rings (involving electroplating, grinding and buffing)
	Pistion Rings (as per Inspection Report)
	Not Sought
	_
	CTO obtained on 01.04.2005 (valid upto 30.09.05)
Not applied for CTO. 
	 
	           07.01.2009
Issue reminder seeking compliance report from DJB and MCD.
         25.02.09
Issue reminder seeking compliance report from DJB and MCD.
	Reminder issued.
No compliance report received.
	Issue final reminder for compliance report. Call on 28.05.2009

	229
	39
	WO
	SANT RAM & SONS 
	A-87/1
	Manufacturing of Hinges including Acid Wash
	200Kg/Day
	 
	 
	CTO(R) refused on 09.02.2007 vide refusal no. 1579.
	 
	            07.01.2009
Issue reminder to DJB for compliance. Call on 25.02.2009
          25.02.09
Issue reminder to DJB for compliance.
	Letter issued.
Compliance report received from NDPL stating that they have already disconnected the Electricity supply.
Letter issued to DJB & no reply received.
	Issue final reminder for compliance report. Call on 28.05.2009

	230
	41a
	WO
	DYEING PLANT 
	A-134
	 
	 
	 
	 
	 
	 
	              07.01.2009
Issue reminder to DJB for compliance. Call on 25.02.2009 
             25.02.09
Issue reminder to DJB for compliance. 
	Consent refused. Letter issued which is returned back undelievered.
Compliance report received from NDPL on 18.12.2008 stating that No conection/firm exists at site against this name.
Letter issued to DJB for which no reply received.
	Issue final reminder for compliance report. Call on 28.05.2009

	231
	42
	WO
	NEETA TRADING CO.
	B-72/3
	 
	 
	 
	 
	CTO refused on 24.03.2004 vide refusal no. 165.
	 
	           07.01.2009
Issue reminder to DJB & MCD for compliance. Call on 25.02.2009
           25.02.09
Issue reminder to DJB & MCD for compliance. 
	Letter issued.
Compliance report received from NDPL on 26.12.2008 stating that No conection exists at site agaist this name. However, no compliance report received from DJB & MCD.
Letter issued. No reply received.
	Issue final reminder for compliance report. Call on 28.05.2009

	232
	45a
	WO
	ELECTROPLATING UNIT (BACK SIDE)
	C-8
	 
	 
	 
	 
	 
	 
	           07.01.2009
Issue reminder to DJB & MCD for compliance. Call on 25.02.2009
            25.02.09
Issue reminder to DJB & MCD for compliance.
	Refusal Letter issued which is returned back undeleivered.
Compliance report received from NDPL on 26.12.2008 stating that No conection exists at site agaist this name. However, no compliance report received from DJB & MCD.
Letter issued. No reply received.
	Issue final reminder for compliance report. Call on 28.05.2009

	233
	63
	AP
	 Ashish Steel
	A-93/4,  Group  
	 
	 
	 
	CTE applied on 17.09.2007 vide ID no. 23531 under Orange category
	 
	 
	                     07.01.2009
Put up administratively for the case of M/s Ashish Steel Industries who is found to be engaged in the activity of pickling by SIT during their inspection dated 03.01.2009.
Ask Sh. Farooq of Ist Floor engaged in shearing work to apply for CTE.
              25.02.09
Ask the unit to clarify the exact location and plan of the working area.
	Letter issued.
Reply received on 22.04.09, unit has submitted the exact location plan of working area.
	Call on 28.5.2009 along with the file of M/s Shiv Charan. 

	234
	92
	AP
	Ankur Industries
	A-96/11 
	Mfd. Of S.S. utensils without buffing & polishing
	500 kg/day as per the affidavit
	 
	 
	CTO(R) on 30.07.2007 vide I.D.No. 22915 under Green category in the name of Ankur Exports
CTO obtained on 21.02.2003 and valid upto 31.07.2007
	 
	                     07.01.2009
Issue reminder to the unit to install ECS and submit Bank Guarantee Rs. 50000 under Air Act, 1981 valid upto 06.02.2010
                    25.02.09
Issue reminder to submit Bank Guarantee Rs. 50000 under Air Act, 1981 valid upto 06.02.2010 & adequacy report for ECS
	Reminder issued, reply received on 15.04.09. Unit has informed that they have already submitted the required BG, ECS on buffing machines installed, unit has submitted bank draft for AR, so some more time is required to submit the AR.
	Issue final reminder to submit Bank Guarantee Rs. 50000 under Air Act, 1981 valid upto 06.02.2010 & adequacy report for ECS. Call on 28.05.2009

	235
	16
	WO
	Lakshmai Milk Testing Machinery co.
	A-90, Group
	Mfg of Dairy Equipments (Milk Canes) with Anodizing.
	Plot found vacant.
	BG not submitted.
	Not applied/obtained
	CTO(R) on 31.08.2005 vide I.D. No. 16242.
Not applied for CTO(R).
	Applied for renewal on 02.08.2006 vide I.D. No. 3074.
	        07.01.2009
Paste the letter on the premises. Call on 25.02.2009
       25.02.09
Refuse CTO(R) and authorization. Call on 15.04.2009
	Letter issued which is returned back undelivered. This is due to closure of the unit.
Letter pasted. No reply received.
Refusal letter returned back undelievered.
	Remove from the list.

	236
	33
	AP
	Manoj Steel Industries
	B-5, Group
	unit closed and shifted.
	Not Mentioned 
	unit closed 
	unit closed and shifted.
	CTO obtained on 27.07.2006 (valid upto 08.12.2006)
	_
	     07.01.2009
SIT to inspect and report after three months.
      25.02.09
Call on 15.04.2009
	No action.
	SIT-I to inspect and report. Call on 28.05.2009

	237
	36
	AP
	Vikash Steel
	B-17/2
	Unit Closed
	 
	 
	 
	CTO obtained on 03.09.04 (valid upto 25.07.2005)
	 
	              07.01.2009
Paste the letter on the premises. Call on 25.02.2009.
             25.02.09
Issue reminder for removal of the machinery. Call on 15.04.09
	Letter returned back undelivered.
Letter pasted. No reply received.
Letter returned back undelievered.
	Call on 28.05.2009

	238
	39a
	AP
	V.L. THREAD (INDIA) PVT. LTD.
	A-55
	 
	 
	 
	 
	 
	 
	             07.01.2009
SIT to inspect & report after three months.
            25.02.09
Call on 15.04.2009
	No Action.
	SIT-I to inspect and report. Call on 28.05.2009

	239
	65
	AP
	Parkash Metal
	A-89, Group  
	 
	 
	 
	 
	 
	 
	                      07.01.2009
Ask the landlord of the premises to submit affidavit stating that M/s Prakash Metal has closed industrial  activity 
                     25.02.09
Call on 15.04.2009
	Letter issued.
Reply received on 15.12.2008 from the landlord of premises along with an affidavit. She has informed that M/s Parkash Metal was closed since 31.03.2005 and no industrial activity is being carried out in the said premises and the premises is lying vaccant.
	SIT-I to inspect and report after three months. Call on 28.05.2009

	240
	3
	AP
	Sh. Balak Ram. Sh. Suresh. Sh. Islam, Sh. Ram Bils 
	Shed no.101, DSIDC
	Buffing
	Units closed
	Bg of Rs. 50000 under Air Act submitted by Durgadas Bansal.
	CTE on 21.11.2007 vide I.D.No. 24276 (Suresh), CTE on 21.11.2007 vide I.D.No. 24277 (Balak Ram) & CTE on 21.11.2007 vide I.D.No. 24278 (Ram Bilas)
	 
	Not applicable
	         07.01.2009
SIT to inspect and report. Call on 25.02.2009 
           25.02.09
No action.
	Letter for revocation and desealing issued in the name of Sh. Durga Dass Bansal.
Compliance report received from SDM (Model Town) for de-seal the premises..
	Delist the case from the list.

	241
	5
	AP
	Sunrise 
	Shed no.100, DSIDC
	 
	 
	 
	 
	 
	 
	             07.01.2009
Paste the notice on the premises. Call on 25.02.2009
             25.02.09
Issue closure order u/s 31(A) of the Air Act, 1981. Call on 15.04.2009
	Notice for closure issued which is returned back undelivered.
Letter pasted. No reply received.
Closure order retuned back undelievered. Letter pasted, no reply received.
	Issue final reminder for compliance report. Call on 28.05.2009

	242
	6(a)
	AP
	Pratap Metals
	A-136
	Buffing
	Not mentioned.
	BG not submitted.
	CTE on 20.06.2008 vide I.D.No. 26121
	CTR applied on 27.07.07 under Green category vide ID no. 22844
CTO obtained on 25.09.2003 vide consent order no. 7721 (valid upto 28.07.2007) under Green category
	 
	             07.01.2009
SIT to inspect and report. Call on 25.02.2009
           25.02.09
Issue final remider to the unit to submit  Bank Guarantee. Call on 15.04.2009
	Unit has submitted a reply on 13.04.09 & informed that they have dropped the idea of establishing the unit under Orange category & also request to close the file of CTE application unedr Orange category & stated that SIT also inspected the unit & no buffing observed & unit has submitted  Renewal of Consent application under green category, so DPCC requested to revoke the order of submission of BG.
	Call for personal hearing on 28.05.2009 at 6.20 PM.

	243
	6(b)
	AP
	Tahal Singh
	A-136, 2nd & 3rd Floor
	Buffing
	 
	 
	CTE on 15.04.2008 vide I.D.No. 25497
 CTE under green category on 12.03.2009 vide ID no. 29224
	 
	 
	              07.01.2009
Seek compliance report from NDPL/DJB with copy to GM, NDPL & CEO, DJB. Call on 25.02.2009
         25.02.09
Issue reminder seeking compliance report. Call on 15.04.2009
	As per earlier CMC decison dated 29.05.08, closure directions were issued to the unit. 
Letter issued. No compliance report received.
Tahal Singh submitted a leter on 16.03.2009 & informed that they have applied for CTE under green category on 12.03.2009 vide ID no. 29224
Unit has submitted a letter along with an affidavit & informed that no pollution activity is carried out at the premises & i always cooperate with the department but not getting positive atitude from DPCC, & hence requesting to withdraw the notice & carried inspection in his presence.
	Call for personal hearing on 28.05.2009 at 6.30 PM.

	244
	6(c)
	AP
	Sh. Balbir Singh (Prop. of Hindustan Power System)
	A-136
	Mfg. of utensils with buffing
	 
	 
	CTE on 21.04.2008 vide I.D.No. 25553
	 
	 
	             07.01.2009
Seek compliance report from NDPL/DJB with copy to GM, NDPL & CEO, DJB. Call on 25.02.2009
               25.02.09
Issue reminder seeking compliance report. Call on 15.04.2009
	 As per the earlier decision of CMC dated 29.05.2008 closure directions were issued.
Letter issued. No compliance report received.
Unit has submited a letter on 06.03.2009 along with an affidavit & state that there is no buffing activity is carried out at the premises which can be verified any time by inspection. so, requesting to revoke the power/water supply disconnection decision.
	Call for personal hearing on 28.05.2009 at 6.30 PM.

	245
	1
	AP
	Sh. Shree Venkateshwar Enterprises 
	Shed no, 54 DSIDC
	S.S. Utensils (Pressing & Buffing) 
	 
	BG submitted on 21.01.2007
BG of Rs. 50000 under Air Act submitted.
	CTE issued on 02.12.2008 valid upto 01.12.2009. Applied for CTE on 19.11.2007 vide I.D. No. 24249
	CTO applied on 13-04-2009 vide id no-29514
	Not applicable
	            07.01.2009
Ask the unit to apply for Consent to Operate. Call on 25.02.2009
                25.02.09
Call on 15.04.09.
	Letter issued.Reply received. 
CTO not applied. Unit has informed that they are in the process of preparing file for CTO. As soon as file completed, it will submit the same and requested to give 15 days time. 
	Call on 28.05.2009

	246
	8(a)
	AP
	Sh. Vijay Kumar Goel
	A-104
	Buffing
	Not mentioned.
	BG not submitted.
	Not applied/obtained
	Not applied.
	Not applicable
	             07.01.2009
Call the unit and get the K. No. of the electrical connection and give to NDPL for compliance. Call on 25.02.2009
              25.02.09
Issue reminder seeking  compliance from NDPL. Call on 15.04.2009
	Closure directions issued.
Compliance report received from NDPL, stated that no firm exists in the name of M/s Vijay kumar goel (M/s Ria Enterprises existing in the past), so asking information of K. No. of the electrical connection in the name of M/s Ria Enterprises or the registered consumer that existed.
Letter issued to NDPL, no reply received.
	No action.

	247
	25
	AP
	Abhinandan Steel
	A-124,  II & III Floor,
	Manufacturing of steel utensils (involving buffing)
	200-300 kg/day  (as per inspection report)
	 
	Not applied/obtained
	CTO obtained on 07.05.2003 (valid upto 25.07.2007) under Green category.
	Not applicable
	            07.01.2009
Issue reminder to DJB & MCD for compliance. Call on 25.02.2009
          25.02.09
Issue reminder to DJB & MCD for compliance 
	Letter for disconnection of power / water supply & disconnection of MCD licence issued.
Complinace report received from NDPL stating "no conneciton exists at site against the name of the unit:. However, no compliance report received from DJB & MCD.
	Issue final reminder for compliance report. Call on 28.05.2009

	248
	30a
	AP
	Durga Industries
	A-100/2
	unit closed 
	Not Mentioned 
	unit closed 
	unit closed 
	CTO on 08.10.2004 vide I.D.No. 11858.
CTO obtained on 07.04.2005 (valid upto 30.09.05)
Not applied for CTO. 
	_
	            07.01.2009
No action.
            25.02.09
  Call on 15.04.2009
	No action.
	No action.

	249
	31a
	AP
	Ganesh
	A-79, Group
	Unit Closed
	Unit closed.
	unit closed 
	unit closed 
	CTO obtained on 01.04.2005 (valid upto 30.09.05)
Not applied for CTO. 
	_
	              07.01.2009
SIT to inspect and report after three months.
             25.02.09
Call on 15.04.2009
	No action.
	No action.

	250
	32
	AP
	K.C. Steel 
	B-31, Group
	Buffing on S.S. Utensils.
	200 Kg (as per inspection report)
	Not sought
	Premises vacant.
	CTO(R) on 14.11.06 (valid upto 18.09.2011) under Green category (Consent revoked)
	Not applicable
	       07.01.2009
Issue reminder for compliance. Call on 25.02.2009
        25.02.09
Issue reminder for compliance.
	Reminder issued.
No compliance report received.
	Issue final reminder for compliance report. Call on 28.05.2009

	251
	37
	AP
	AGGARWAL AUTO INDUSTRIES 
	A-96/1 A 
	 
	 
	 
	 
	 
	 
	             07.01.2009
Call on 25.02.2009
           25.02.09
Call on 15.04.09.
	Letter issued. Reply submitted by the landlord on 02.12.2008. Landlord has informed that no unit exists in the name of M/s Aggarwal Auto Industries at the said premises and don't have any electric connection or water connection in the name of the said unit.
Compliance report received from NDPL on 18.12.2008 stating that No conection/firm exists at site against this name.
	No action.

	252
	99
	AP
	Charanjit
	A-93/8 
	Pressing of S.S. Utensils & circle cutting
	 
	 
	 
	CTO(R) on 01.05.2006 vide consent order no. 14353 (valid upto 22.06.2010)
	 
	                07.01.2009
Issue reminder to DJB for compliance.
              25.02.09
Issue reminder to DJB for compliance. 
	Consent refused and letter issued.
Compliance report received from NDPL received on 18.12.2008 stating that o firm exists in the name of M/s Charanjeet Industries. At present connection exists in the name of M/s Ranjeet Sigh & Charan, So clarify for disconnection, awaitted for your decision
	SIT-I to inspect and report. Call on 28.05.2009

	253
	109c
	WP
	Dinesh
	B-78
	 
	 
	 
	 
	 
	 
	          07.01.2009
Ask the unit to apply for Consent to Establish. 
         25.02.09
Paste letter on the premises.
	Letter issued to the unit to apply for CTE.
Letter returned back undelievered. Letter pasted, no reply received.
	Call on 28.05.2009

	254
	114
	WP
	Mahavir Agency (Legal)
	A-109/2
	Unit Closed
	 
	 
	 
	CTO obtained on 01.04.2005 (valid upto 30.07.05)
	 
	           07.01.2009
Ask the new unit namely M/s Lalit Cutting Centre to apply for Consent to Establish.
Ask the new unit namely Sh. Bhura to apply for Consent to Establish and to install Emission Control System(ECS) with buffing machine
           25.02.09
Issue reminder to M/s Lalit Cutting Centre to apply for Consent to Establish.
Paste the letter in case of Sh. Bhura on the premises.
Ask the new unit namely Manoj Pahwa to apply for Consent to Establish.
Inform Legal Cell about the closure of the unit namely Mahavir Agency long back.
	Letter issued to M/s Lalit Cutting Centre to apply for Consent to Establish.
No reply received.
Letter issued to Sh. Bhura to apply for CTE and to install ECS.
Letter returned back undeleivered. Letter pasted, no reply received.
	Call on 28.05.2009

	255
	 
	 
	Sh. Bhura
	A-109/2
	 
	 
	 
	 
	 
	 
	           07.01.2009
Ask the new unit namely Sh. Bhura to apply for Consent to Establish and to install Emission Control System(ECS) with buffing machine
           25.02.09
Paste the letter in case of Sh. Bhura on the premises.
	Letter issued to M/s Lalit Cutting Centre to apply for Consent to Establish.
No reply received.
Letter issued to Sh. Bhura to apply for CTE and to install ECS.
Letter returned back undeleivered.
	Call on 28.05.2009

	256
	 
	 
	Lalit cutting
	A-109/2
	 
	 
	 
	 
	 
	 
	           07.01.2009
Ask the new unit namely M/s Lalit Cutting Centre to apply for Consent to Establish.
Ask the new unit namely Sh. Bhura to apply for Consent to Establish and to install Emission Control System(ECS) with buffing machine
           25.02.09
Issue reminder to M/s Lalit Cutting Centre to apply for Consent to Establish.
	Letter issued to M/s Lalit Cutting Centre to apply for Consent to Establish.
No reply received.
Reminder issued, no reply received.
	Issue final reminder to apply for Consent to Establish. Call on 28.05.2009

	257
	 
	 
	Manoj Pawha
	A-109/2
	 
	 
	 
	 
	 
	 
	           25.02.09
IAsk the new unit namely Manoj Pahwa to apply for Consent to Establish.
	Letter issued, Reply received on 13.04.09, Unit has informed that the premises is a rented place & landlord is out of station, so requesting to give 10 days time to file the application.
	Issue final reminder to apply for Consent to Establish. Call on 28.05.2009

	258
	76
	WP
	Bhalla Hosiery Factory
	B-40, Group
	Re-rolling & Pickling
	S.S Sheet (as per inspection report) 
	BG not submitted.
	CTE refused on 27.06.2007 vide refusal no. 1633 & 02.04.2008 vide refusal no. 1691.
	CTO refused on 09.08.2007 vide refusal no. 1655. CTO on 21.08.2007 vide I.D. No. 23212. 
	_
	          07.01.2009
SIT to inspect and report. Call on 25.02.2009
         25.02.09
Ask the unit namely M/s Bhalla Hosiery Enterprises to apply for Consent to Establish. Call on 15.04.2009
	Letter issued. Reply received on 19.11.2008 and unit has informed that:
1.  they will not establish the proposed unit as it comes under negative list of MPD-2021.
2.  requested to refuse the CTE application.
3. not liable to submit the BG for the activity.
Now again Unit has applied CTE on 23.03.09 vide ID no. 29335 in the name of Bhalla Hoisery Factory for the activity of pickling of stainless steel sheet & the proposed activity comes under negative list of MPD-2021. Bhalla Hosiery Enterprises has applied for CTE on 23.04.09 vide Id no. 29649
	Refuse Consent to Establish of M/s Bhalla Hosiery Factory. Also SIT-I to inspect and report. Call on 28.05.2009

	259
	139b
	WP
	AJAY KUMAR
	A-133
	 
	 
	 
	CTE granted on 28.04.2004 valid upto 20.04.2005
	CTR applied on 10.12.2008 vide ID no. 28339 
Renewal of Consnet on 04.05.2005 vide ID no. 13881
	 
	             07.01.2009
Ask the unit namely M/s Ajay Kumar to apply for Consent to Establish.
           25.02.09
In place of Aggarwal Syndicate, the name of Ajay Kumar is placed. Ask the unit namely Ajay Kumar to install suction hood and arrangement for control of fugitive emissions. Call on 15.04.2009
	Letter issued, Reply received on 15.04.09, Unit has informed that they are engaged in injection moulding & no fugitive emission is generated through the injection moulding process.
	Insist the unit namely Ajay Kumar to install suction hood and arrangement for control of fugitive emissions. Call on 28.05.2009

	260
	139c
	WP
	JAIN STEEL
	A-133
	 
	 
	 
	CTE on 02.12.2008 under Orange category vide ID no. 28271.
	 
	 
	                       07.01.2009
Issue reminder to the unit to apply for Consent to Establish and to install pollution control device.
            25.02.09
Ask the unit to comply with the decision dated 17.11.2008 and also to get it connected with the conveyance system leading to CETP. 
	Letter issued.
Reply received on 15.04.09, Unit has informed that A-133 whole unit is connected with the conveyance system leading to CETP. However, No information provided regarding installation of pollution control system.
	Insist the unit to comply with the decision dated 17.11.2008 and also to get it connected with the conveyance system leading to CETP. Call on 28.05.2009

	261
	141b
	WP
	SINGHLA METAL
	C-55/1
	 
	 
	 
	 
	 
	 
	               07.01.2009
Issue reminder to the unit to apply for Consent to Establish.
              25.02.09
 Paste letter on the premises.
	Reminder issued to the unit to apply for CTE.
Letter returned back undelievered.
Letter pasted, no rpely received.
	Call on 28.05.2009

	262
	146b
	WP
	DELHI WIRE
	C-9/3
	Plastic and PVC footwear
	 
	 
	CTE on 22.12.2008 vide ID no. 28456
	 
	 
	               17.11.2008
Ask the another unit namely M/s Delhi Wire to apply for Consent to Establish.
             07.01.2009
Call on 25.02.2009
           25.02.09
Ask the unit to install suction and hood arrangement for control of fugitive emissions and to get it connected to conveyance system leading to CETP.
	Letter issued.
Reply received on 22.12.2008. Unit has informed that they are applying for CTE under Orange category. DPCC's record shows that unit has applied for CTE on 22.12.2008 vide ID no. 28456.
Letter issued which was returned back undelievered. Letter pasted, no reply received.
	Call on 28.05.2009

	263
	155b
	WP
	KAPIL ENTERPRISES
	B-36
	 
	 
	 
	 
	 
	 
	            07.01.2009
Issue reminder to the unit to apply for Consent to Establish.
           25.02.09
 Issue reminder to the unit to apply for Consent to Establish. 
	Letter issued.
No reply received.
	Issue final reminder to apply for Consent to Establish. Call on 28.05.2009

	264
	155c
	WP
	MARUTI STEEL
	B-36
	 
	 
	 
	 
	 
	 
	             17.11.2008
Ask other units namely Kapil Enterprises & Maruti Steel to apply for Consent to Establish. Call on 03.12.2008.
             07.01.2009
Call on 25.02.2009
            25.02.09
Ask the unit to give the plan of working area and also submit an affidavit.
	Letter issued.
Reply received on 08.12.2008 from M/s Kwality Products India. They have informed that no unit exists in the name of M/s Maruti Steel in the above said premises and they have already applied for CTE. As per DPCC record unit has applied for CTE on 29.07.2007 vide ID no. 23416.
Letter issued to kwality Products india & no reply received.
	Issue final reminder to the unit namely Kwality Products India to submit the layout plan of working area and also submit an affidavit. Call on 28.05.2009

	265
	166
	AP
	Yes Plastic
	A-115
	 
	 
	 
	CTE applied on 17.02.2009 vide ID no 29040
	 
	 
	                        05.11.2008
Another unit found by SIT during the inspection in the name of M/s Yes Plastic. Issue notice for apply for Consent to Establish. Call on 03.12.2008. 
                  25.02.09
Conset to Establish granted
	Notice issued.
CTE issued.
	Ask the unit to apply for consent to operate before start of the operation. Call on 28.05.2009.

	266
	41b
	WO
	AMAR JAIN
	A-134
	 
	 
	 
	 
	 
	 
	             17.11.2008
Ask the unit namely Amar Jain  to apply for Consent to Establish. Call on 03.12.2008
            07.01.2009
Notice be pasted on the premises.
          25.02.09
Call on 15.04.2009
	Notice issued which is returned back undelievered.
Notice pasted. 
	Call on 28.05.2009

	267
	45b
	WO
	R.M. Die Casting
	C-8
	 
	 
	 
	 
	 
	 
	             17.11.2008
Ask the another unit namely R.M. Die Casting to file affidavit for correction of deficiencies noted by SIT and Bank Guarantee of Rs. 1 Lakh under the Air Act, 1981 valid upto 06.02.2010.
           07.01.2009
Issue reminder to the unit to submit Bank Guarantee of Rs. 1 Lakh under the Air Act, 1981 valid upto 06.02.2010.
          25.02.09
Issue reminder to the unit to submit Bank Guarantee of Rs. 1 Lakh under the Air Act, 1981 valid upto 06.02.2010.
	Letter issued.
Reply received on 11.12.2008. Unit has informed that:-
1. They have corrected the deficiencies noted by SIT and submitted an affidavit in this regard.
Letter issued. Reply received on 24.02.2009. Unit has informed that they are not in position to submit BG of Rs. 1lakh as the unit is a small unit, so reduced the BG to Rs. 50000
Letter isued, no rpely received.
	Issue final reminder to the unit to submit Bank Guarantee of Rs. 1 Lakh under the Air Act, 1981 valid upto 06.02.2010. Call on 28.05.2009

	268
	46
	WO
	Krish Automotors Pvt. Ltd.
	B-65/2
	workshop cum service station (with washing)
	 
	 
	CTE granted on 31.01.2008 valid upto 30.01.09
	CTO applied 
	 
	 
	 
	Ask the unit to submit an affidavit stating that unit has connected to the conveyance system leading to CETP and file permission from DJB fro ground water extraction. Call on 28.05.2009

	269
	61
	AP
	Kailash International
	A-109, Group  
	 
	 
	 
	 
	 
	 
	                      07.01.2009
Issue final reminder to the unit to apply for Consent to Establish.
                      25.02.09
Issue final reminder to the unit to apply for Consent to Establish.
	Letter issued.
No reply received.
	Issue SCN to apply for Consent to Establish. Call on 28.05.2009

	270
	2
	AP
	Precision Castings & Components
	B-69/1
	Manufacturing of Piston rings (Engineering activity)
	5000 Pcs/day
	BG of Rs. 50000 submitted
	CTE on 22.05.2008 vide I.D.No. 25802.
	Consent (Renewal)  obtained on 19.06.2006  under Green cat (valid upto 06.05.2010)
	Applied for renewal of authorization on 13.11.2006 vide I.D. No. 4052.
	           07.01.2009
Ask the unit to file amended Bank Guarantee without any further delay. Call on 25.02.2009
             25.02.09
Send back the old bank guarantee and take  new bank guarantee within a gap of 24 hours. Inform Account Officer accordingly. Call on 15.04.2009
	Letter issued with format of BG, however unit has again requested to send format of amended Bank Guarantee.
Letter issued. Reply received on 13.02.2009. Unit has informed that the SBI asked the orginal BG for cancellation before issuing new BG. (copy of the remarks from bank enclosed).
Letter issued with original BG for submission of amended BG within 24 hours, but no reply received.
	Issue final reminder to the unit for submission of Bank Guarantee. Call on 28.05.2009

	271
	4
	AP
	Maruti Industries
	B-70/2
	SS utensils with buffing
	2 tonnes / month (as per inspection report)
	BG of Rs. 50000 under Air Act submitted.
	CTE obtained on 13.06.2008 vide consent order no. 18542 (valid upto 12.06.2009)
	CTO refused on 09.02.2007 vide refusal no. 1582.
Not applied for CTO.
	Not applicable
	             07.01.2009
Call the unit and ask the unit to apply for Consent to Operate. Call on 25.02.2009
          25.02.09
Call on 15.04.09.
	Letter issued.
Reply received on 03.12.2008 stating that they have applied for CTO on 26.09.2007. 
Called the unit & unit submitted a letter on 23.02.2009 stating that they are in process to apply for CTO & asked 1 month time for compliance.
	Time allowed till 28.05.2009. Call on 28.05.2009

	272
	6(d )
	AP
	PAWAN PLASTIC
	A-136
	Mfg. of plastic motor parts
	 
	 
	 
	 
	 
	                07.01.2009
Ask the unit to apply for Consent to Establish under Orange category. Call on 25.02.2009
         25.02.09
The plastic product falls under F category as per MPD-2001 and therefore unit has to apply for Consent to Establish under Orange category.Call on 15.04.2009 
	Letter issued. Reply received on 16.02.2009. Unit has informed that they are Mfg. Auto parts & electric motor & parts which comes under Green category in the annexure of classification of industries under MPD-2001 group A (copy enclosed).
Letter issued, reply received on 17.04.09, Unit has informed that they have stopped working & disconnected the electric connection & treat its CTE application as withdrawn & will be vacated the premises in April-2009 month. (Affidavit enclosed)
	Refuse Consent to Establish. SIT-I to inspect and report after three months.

	273
	 8(b)
	AP
	S. Kumar Polishing Works
	A-104, 2nd Floor
	Circle cutting, pressing of S.S. Sheets and buffing on utensils
	200 Pc/day
	BG of Rs. 50000 under Air Act submitted on 01.09.2008
	CTE issued on 03.11.2008 vide Con No. 19135 valid upto 02.11.2009.
	 
	 
	          28.08.2008
CTE refused and confirm closure. Call on 30.09.2008
             7.10.2008
Issue Consent to Establish
            17.11.2008
Ask the unit to submit an affidavit for correction of deficiencies observed by SIT during inspection and  also to install ECS. Call on 03.12.2008.
            07.01.2009
Issue reminder to the unit to install ECS. Call on 25.02.2009
       25.02.09
The unit has been inspected by SIT while conducting the inspection of M/s Heera Enterprises existing in the same premises. Ask the  unit to file adequacy report for cyclone system.Call on 15.04.2009
	Letter issued.
Reply received on 03.02.2009. Unit has informed that ECS has already been installed and stack monitoring report regarding the same has already been obtained from DPCC on 22.01.2009 ( copy enclosed).
Letter issued, no reply received.
	Issue final reminder to the unit to file adequacy report of cyclone system.. Call on 28.05.2009

	274
	9a
	AP
	Satish Malhotra
	A-74, 2nd Floor 
	Mfg of Utensils
	200 kg/day
	BG not asked
	CTE obtained on 08.08.08 (valid upto 07.08.2009) under Green category.
	 
	 
	              07.01.2009
Put these two units in the list with Consent to Establish application.
Ask the unit to comply with the CMC decision dated 21.10.2008. Call on 25.02.2009.
             25.02.09 
Ask the unit to submit the exact layout plan of the area duly certified by architect or as per the certified  lease/rent agreement.Call on 15.04.2009
	File was processed administratively and it was decided to issue notice for closure to the new units and  letter seeking explanation to Satish Malhotra clarifying his working area on second floor.
3. Satish Malohotra has given the rough skecth of the working area.
Letter isssued, no reply receievd.
	Issue final reminder for submission the exact layout plan of the area duly certified by architect or as per the certified  lease/rent agreement. Call on 28.05.2009

	275
	9d
	AP
	Ravi Bansal
	A-74, 1st  Floor 
	Mfg of Utensils
	 
	 
	CTE obtained on 08.08.08 (valid upto 07.08.2009) under Green category.
	 
	 
	         07.01.2009
Ask the unit to install ECS and file Bank Guarantee of Rs. 1 Lakh under Air Act valid upto 06.02.2010. Also ask the unit to apply for Consent to Operate. Call on 25.02.2009
              25.02.09
Issue final reminder to the unit to install ECS and file Bank Guarantee of Rs. 1 Lakh under Air Act valid upto 06.02.2010. Also ask the unit to apply for Consent to Operate. Call on 15.04.2009
	Letter issued. Reply received on 25.02.2009 & informed that they are engaged in circle cutting activity only so no air pollution generated, hence no need of installing the ECS & submit BG.
Letter issued, Reply received on 15.04.09, Unit has informed that they are not causing any air & water pollution & engaged in the activity of circle cutting, so CMC has requested for not to insist to submit the BG & installation of ECS. Unit also informed that the CMC has already issue the CTO to the unit, however, DPCC record shows that only CTE was granted under Green category..
	Insist the unit to install ECS and file Bank Guarantee of Rs. 1 Lakh under Air Act valid upto 06.02.2010. Also ask the unit to apply for Consent to Operate. Call on 28.05.2009

	276
	10
	AP
	Chawla Polymers
	A-90, Group, basement & ground floor
	Mfg. of PVC footwear (gumboots)
	 
	BG not submitted
	CTE on 11.03.2008 vide I.D. No. 25150.
	 
	 
	            07.01.2009
Issue final reminder for submission of Bank Guarantee of Rs. 1 Lakh under Air Act, 1981 valid upto 06.02.2010. Call on 25.02.2009
               25.02.09
No relief will be given. Ask the unit to file Bank Guarantee. Call on 15.04.2009
	Letter issued, reply received  on 15.04.09, Unit has informed that due to the market slowdown, they are not able to submit the required BG, so unit will submit the BG in the month of july on the priority basis..
	Call for personal hearing on 28.05.2009 at 6.40 PM.

	277
	12
	AP
	Sh. Bhupinder( Jain Steel Udyog)
	Shed no, 71 DSIDC
	Steel Untenslis
	Not mentioned.
	Unit claims BG is not required as there is no buffing activity.
	Not applied/obtained
	CTO under Green Category on 13.06.2005 vide I.D.No. 14442.
	Not applicable
	       21.10.2008
SIT to inspect and report. Call on 03.12.2008.
       07.01.2009
Call on 25.02.2009
        25.02.09
Refuse consent. Call on 15.04.2009
	Unit has earlier submitted its representaion along with affidavit and informed that they have closed down its activity.
Refusal letter retuned back undelievered. Letter pasted, no reply received.
	Call on 28.05.2009

	278
	15
	AP
	Scorpion Iron Steel Pvt. Ltd.
	A- 135
	Manufacturing of utensils involving Buffing
	2 tonnes / day (as per affidavit)
	BG of Rs. 01 Lakh submitted under Air Act valid upto 06.02.2010
	CTE obtained on 04.03.2008 vide consent order no. 18453 (valid upto 03.03.2009)
	CTO on 13.08.07 vide I.D. No. 23102.
	Not applicable
	          29.05.2008
Ask the unit to file affidavit for correction of deficiencies noted during the inspection by SIT, failing which Bank Guarantee will be forfeited. 
          06.08.2008
Consent to Establish granted.
          03.09.2008
No action.
          07.01.2009
Call on 25.02.2009
           25.02.09
Call on 15.04.09.
	CTE already issued. Hence, CTE not issued again.
	Call on 28.05.2009

	279
	16
	AP
	Ankit Exim Pvt. Ltd.,
	B-27/2, Group
	Re-rolling and annealing of S.S. Sheets at ground floor & utensils cutting at 1st floor
	 
	 
	CTE issued on 16.09.2008 vide Con No. 18820 valid upto 15.09.2009
	 
	 
	         06.08.2008
Ask the unit to file clearcut details about stack height and acosutic enclosure of D.G. Set. 
          03.09.2008
Issue Consent to Esstablish.
          07.01.2009
No action
         25.02.09
Ask the unit to apply for Consnet to Operate.
	CTE issued.
	Issue final reminder to apply for Consent to Establish. Call on 28.05.2009

	280
	17
	AP
	Jai Chand
	C-59/2, 1st & 2nd Floor
	Mfg of S.S. Utensils
	 
	 
	 CTE on 07.07.2008 vide I.D. No. 26331.
	CTO obtained on 19.04.2004 vide consent order no. 10175 (valid upto 16.03.2007) 
CTO(R) on 14.03.2007 vide I.D. No. 20846
	 
	            06.08.2008
Confirm closure. 
            03.09.2008
Ask the unit to file Bank Guarantee of Rs. 1 Lakh under Air Act for not starting buffing activity.
            07.01.2009
Issue reminder to the unit to file Bank Guarantee of Rs. 1 Lakh under Air Act for not starting buffing activity. Call on 25.02.2009
           25.02.09
Issue final reminder to the unit to file Bank Guarantee of Rs. 1 Lakh under Air Act for not starting buffing activity. Call on 25.02.2009
	Letter issued.
Reply received on 09.02.2009. Unit has informed that there is no buffing activity in the said address and requested don't force to submit BG because now a days due to bad market scenario there is no work in the unit.
Letter issued, Reply received on 15.04.09, Unit has informed that they are not doing buffing & will not start the buffing activity in future & not able to pay such amount for not doing anything.
	Issue final reminder for submission of Bank Guarantee of Rs. 1 Lakh under Air Act for not starting buffing activity. Call on 28.05.2009

	281
	19
	AP
	Hariom Industries
	C- 60/3
	Manufacturing of SS utensils (involving buffing)
	200 Pcs per day as per affidavit
	BG submitted.
	CTE on 20.9.2007 vide ID No. 23580
	CTO (R) refused on 31.08.2007 under Green category
	Not applicable
	             29.05.2008
Ask the unit to file permission from Central Ground Water Authority for ground water drawl. 
             06.08.2008
             03.09.2008
Last and final reminder for submission of CGWA clearance. Call on 30.10.2008.
            07.01.2009
Call on 25.02.2009 with CGWA clearance.
         25.02.09
Refer to CEO, DJB for opinion on the permision required for ground water extraction
	Final reminder  issued.
Reply submitted on  29.09.2008.
Permission from CGWA not submitted.Unit has informed that they have already submitted the application for permission. As soon as the permission is received the same shall be submitted.
	Public notice to be issued for closure of units, by 06.02.2010, engaged in the activities falling under negative list as per MPD 2021.

	282
	20
	AP
	Ashish Industries
	B-63, Ground Floor
	R-rolling of S.S. Sheets
	 
	 
	CTE on 07.07.2008 vide I.D. No. 26320.
	CTO (R) obtained on 20.04.2006 vide consent order no. 14128 (valid upto 01.08.08)
CTO(R) on 16.07.08 vide I.D.No 26495
	 
	                07.01.2009
SIT to inspect and report. Call on 25.02.2009
           25.02.09
Ask the unit to connect to the conveyance system leading to CETP and submit an affidavit for non operation of the annealing furance. Call on 15.04.2009.
	Unit has submmited an affidavit for non operation of annealing furnace on 13.04.2009 & informed that effluent connected to the CETP system.
	Ask the unit to submit an affidavit for removal of machinery & equipments of annealing furance. Call on 28.05.2009

	283
	21
	AP
	Saurabh Industries
	B-63, Ground Floor
	Re-rolling of S.S. Sheets
	 
	 
	CTE on 07.07.2008 vide I.D. No. 26321.
	CTO (R) obtained on 20.04.2006 (valid upto 01.08.08)
CTO(R) on 24.07.08 vide I.D.No 26717
	 
	                07.01.2009
SIT to inspect and report. Call on 25.02.2009
              25.02.09
Ask the unit to connect to the conveyance system leading to CETP and submit an affidavit for non operation of the annealing furance. Call on 15.04.2009.
	Unit has submmited an affidavit for non operation of annealing furnace on 13.04.2009 & informed that effluent connected to the CETP system.
	Ask the unit to submit an affidavit for removal of machinery & equipments of annealing furance. Call on 28.05.2009

	284
	23
	AP
	Satish Kumar
	B-70/2
	Annealing of SS sheet
	150 tonnes / month (as per raw material list) 60 sqm(plot area)
	Revalidated BG of Rs. 50,000 submitted.
BG of Rs. 50000 under Air Act submitted on 22.05.2008.
	CTE on 25.04.2008 vide I.D. No. 25583
	CTO on 31.01.2006 vide I.D. No. 17629.
Not applied for CTO. 
	Not applicable
	             29.05.2008
Ask the unit to file permission from Central Ground Water Authority for ground water drawl. 
             06.08.2008
SIT to inspect and report. 
             03.09.2008
Call on 30.09.2008 with SIT report.
            21.10.2008
Unit may be asked to remove the equipements related to the pickling activity. Call on 03.12.2008
            07.01.2009
Ask the unit to remove the equipments related to the pickling activity and submit an affidavit in this regard or face closure. Call on 25.02.2009.
           25.02.09
Ask the unit ot apply for Consnet to Operate
	Reply received & seeking 30 days time to submit CTO.
	Call on 28.05.2009

	285
	24
	AP
	Suresh Kumar
	A-128, Group
	 
	 
	 
	CTE on 14.08.2008 vide I.D. No 26969.
	 
	 
	              07.01.2009
SIT to inspect and report. Call on 25.02.2009
         25.02.2008
Ask the unit to install suction and hood arrangement for fugitive emissions control. Call on 15.04.2009.
	CTE application is to be decided.
Letter issued, Reply received on 15.04.09, Unit has informed that they are manufacturing only chappal straps by injection moulding machine, so there is no fugitive emmision generated through the process.
	Insist the unit to install suction and hood arrangement for fugitive emissions control. Call on 28.05.2009.

	286
	26
	AP
	Shree Adhinath Works
	A-124, 2nd & 3rd Floor
	Mgf. Of SS utensils with buffing &polishing
	 
	Bank Guarantee of Rs 01 Lakh under Air Act submitted valid upto 06.02.2010
	CTE on 26.11.2007 vide I.D. No 24319.
	CTO application submitted on 1.04.09 vide Id no-29414
	 
	     06.08.2008
Ask the unit to file Consent to Establish application.
     03.09.2008
Call on 30.09.2008
           21.10.2008
Trace CTE application. Call on 03.12.2008
           07.01.2009
Ask the unit to submit information regarding installation of ECS on buffing machines & submit the Adequacy report for the same. Call on 25.02.2009
         25.02.09
Ask the unit to apply for Consnet to Operate before 15.04.09
	Letter issued. 
Reply received on 09.02.2009 & informed that it has installed ECS on buffing machines and applied in GGSI University for the adequacy report. As soon as it gets the report, it will subit the same and requested to give some more time to submit adequacy report. 
Letter issued, Reply received on 15.04.09. Unit has informed that they have applied CTO on 01.04.09 vide ID no. 29414.
	Insist the unit to file adequacy report of ECS from empanelled consultant of DPCC. Call on 28.05.2009

	287
	27
	AP
	Swagat Steel
	Ground Floor, B-50, Group
	Annealing
	 
	 
	CTE on 01.07.2008 vide I.D. No. 26235
	CTO on 10.01.2006 vide I.D. No. 17481.
	 
	        06.08.2008
SIT to inspect and report. 
        03.09.2008
Call on 30.09.2008
               21.10.2008
SIT to inspect and report. Call on 03.12.2008.
            07.01.2009
SIT to inspect and report. Call on 25.02.2009
        25.02.09
Ask the unit to submit stack monitoring report of annealing furnace from the approved laboratory by DPCC.
	Report submitted on 13.04.09
	Issue Consent to Establish. Call on 28.05.2009

	288
	28
	AP
	Ramanand Gupta
	B-50, Group, 2nd Floor
	Acid Battery Recyling
	 
	 
	CTE on 03.06.2008 vide I.D. No. 25960.
	 
	 
	        21.10.2008
Since the unit is engaged in lead mealting activity which is used in mfg. of battery terminal, proper Emission Control System is required to be installed for this process. Call on 03.12.2008
         07.01.2009
Issue reminder to the unit to install proper Emission Control System on lead melting activity. Call on 25.02.2009
        25.02.09
Issue final reminder to the unit to install proper Emission Control System on lead melting activity.
	Letter issued. No reply received.
	Issue final reminder to the unit to install proper Emission Control System on lead melting activity. Call on 28.05.2009

	289
	29
	AP
	S.K. Polymers
	A-101/5, Ground Foor
	Mfg. of Pet Bottles
	 
	 
	CTE on 28.08.2008 vide I.D. No. 27118
	 
	 
	       21.10.2008
Call on 03.12.2008.
       07.01.2009
SIT to inspect and report. Call on 25.02.2009  
      25.02.09
Ask the unit to install suction and hood arrangement for fugitive emissions control and also the unit to get it connected to conveyance system leading to CETP. Ask the new two units to apply for Consent to Establish. Call on 15.04.2009.
	Letter isued, No reply received.
Letter was issued to other unit namely Paras Electricals, Reply received on 15.04.09, Unit has informed that they have applied CTE under green category on 01.10.07 vide ID no. 23728.
Letter was isued to Bhagwant Lal & chaman of which no reply received.
	Issue final reminder to the unit to install suction and hood arrangement for fugitive emissions control and also the unit to get it connected to conveyance system leading to CETP. 
Issue final reminder to M/s Bhagwant Lal and Chaman to apply for Consent to Establish. Call on 15.04.2009.

	290
	30b
	AP
	 Kumar Enterprises 
	A-100/2, 1st & 2nd Floor
	Mfg. of Stainless Steel wire baskets (kitchen baskets) with buffing
	100 kg/day
	 
	 CTE on 05.11.2008 vide ID No. 28025
	 
	 
	           07.01.2009
Time allowed for compliance . Call on 25.02.2009
          25.02.09
Issue reminder to the unit to install ECS.
	Reply received on 11.11.2008. Unit has informed that:
1. Already applied for CTE on 05.11.2008 for the activity of kitchen basket with buffing.
2. Order have been placed for the installation of ECS on buffing machines
So the unit requesting for 2 months time to complete the job.
Letter issued. Reply received on 26.02.2008 & informed that installation will be completed in next 15-20 days.
Letter issued which was returned back undelievered. Letter pasted, no reply received.
	Call on 28.05.2009

	291
	31b
	AP
	ETS Engineering
	A-79, Ground Floor, Group
	Zinc Casting (Pressure Die Casting)
	 
	 
	CTE on 04.07.2008 vide I.D .No 26287
	 
	 
	        21.10.2008
Ask the unit to install emission collection and  channezlation system ovre die casting machine. Call on 03.12.2008.
         07.01.2009
Issue reminder to the unit to install emission collection and  channezlation system over die casting machine. Call on 25.02.2009
         25.02.09
Issue final reminder to the unit to install emission collection and channezlation system over die casting machine. 
	Letter issued.
Reply received on 05.02.2009. Unit has informed that due to the present market crisis they will comply with the decision as soon as posible and same will be intimated..
	Issue final reminder to the unit to install emission collection and channezlation system over die casting machine.  Call on 28.05.2009

	292
	34
	AP
	Shriram Inds
	Ground Floor (front portion), C-55/1
	Steel Rerolling
	 
	 
	CTE on 13.08.2008 vide ID No. 26950
	 
	 
	         21.10.2008
SIT to inspect and report. Call on 03.12.2008.
          07.01.2009
Call on 25.02.2009
          25.02.09
Issue Consent to Establish. Also ask the unit to apply for Consent to Operate.
	CTE issued. 
Letter for applying for CTO issued. No reply received.
	Issue final reminder to apply for consent to operate. Call on 28.05.2009

	293
	35
	AP
	Pawan Kumar
	A-87/1
	Plastic injection moulding
	 
	 
	CTE on 23.04.2008 vide I.D. No. 25549
	 
	 
	        28.08.2008
MS to review. Call on 30.09.2008
           21.10.2008
File be put up administratively by Legal Cell.
           07.01.2009
Call on 25.02.2009.
           25.02.09
Call on 15.4.2009
	Being dealt by Legal Cell. Legal Cell has informed that file has been put up administrativley.
Cases of civil suit was taken up by CMC held on 09.04.09, & decided call on 15.04.09 with legal file & CMC file.
	File be submitted administratively.

	294
	38
	AP
	HARISH JINDAL/ JINDAL ENTERPRISES
	A-96/1 A 
	 
	 
	 
	CTE applied on 30.09.2008 vide I.D. No. 27628
	 
	 
	             17.11.2008
Ask other  units namely Harish Jindal & Garg Traders to apply for Consent to Establish. Call on 03.12.2008
               07.01.2009
Ask the unit to apply for Consent to Establish as the unit is engaged in mfg. of frying pan, which involves powder coating activity & all related mfg. equipements found at site but not in operation during the inspection.
               25.02.09
 Call on 15.04.09.
	Letter issued.
Reply received on 06.02.2009 stating that there are two units operating at said address i.e. M/s Garg Traders who has applied for CTE under Green category and M/s Jindal Enterprises who has applied for CTE under Orange category.
	Shift the case of M/s Garg Traders to CMC(Green) Committee.
Call on 28.05.09 for M/s Jindal Enterprises. 

	295
	39b
	AP
	TONI STEEL
	A-55
	 
	 
	 
	 
	 
	 
	             17.11.2008
Ask the unit to apply for Consent to Establish. Call on 03.12.2008
            07.01.2009
Issue reminder to the unit to apply for Consent to Establish. 
              25.02.09
 Issue reminder to the unit to apply for Consent to Establish. 
	Letter issued. No reply received.
Reminder isued which was returned back undelievered. Letter pasted, no reply received.
	Call on 28.05.2009

	296
	39c
	AP
	VIJAY GOYAL & ASHOK KUMAR
	A-55
	 
	 
	 
	 
	 
	 
	             17.11.2008
Ask the unit to apply for Consent to Establish. Call on 03.12.2008
             07.01.2009
Issue reminder to the unit to apply for Consent to Establish. 
           25.02.09
Issue reminder to the unit to apply for Consent to Establish. 
	Letter issued. No reply received.
Reminder issued which was returned back undelievered. Letter pasted, no reply received.
	Call on 28.05.2009

	297
	39d
	AP
	VIDYA STEEL
	A-55
	 
	 
	 
	 
	 
	 
	             17.11.2008
Ask the unit to apply for Consent to Establish. Call on 03.12.2008
             07.01.2009
Issue reminder to the unit to apply for Consent to Establish. 
           25.02.09
Issue reminder to the unit to apply for Consent to Establ
	Letter issued. No reply received.
Reminder issued which was returned back undelievered. Letter pasted, Reply received.
	Call on 28.05.2009

	298
	39e
	AP
	SLIM LINE
	A-55
	 
	 
	 
	 
	 
	 
	             17.11.2008
Ask the unit to apply for Consent to Establish. Call on 03.12.2008
             07.01.2009
Issue reminder to the unit to apply for Consent to Establish. 
           25.02.09
Issue reminder to the unit to apply for Consent to Establ
	Letter issued. No reply received.
Letter issued which was returned back undelievered. Letter pasted, no reply received.
	Call on 28.05.2009

	299
	39f
	AP
	PAWAN GUPTA
	A-55
	 
	 
	 
	 
	 
	 
	             17.11.2008
Ask the unit to apply for Consent to Establish. Call on 03.12.2008
            07.01.2009
Paste the letter on the premises.
             25.02.09
Issue reminder to the unit to apply for Consent to Establish
	Letter issued which is returned back undeleivered.
Letter pasted. No reply received.
Reminder issued which was returned back undelievered. Letter pasted, no reply received.
	Call on 28.05.2009

	300
	39g
	AP
	PIYUSH AGGARWAL & SH. MONNA
	A-55
	 
	 
	 
	 
	 
	 
	             07.01.2009
Issue reminder to the unit to apply for Consent to Establish.
               25.02.09
 Issue reminder to the unit to apply for Consent to Establish. 
	Letter issued. 
A letter was submitted by the landlord of the premises along with an affidavit in which it was stated that Mr. Piyush Aggarwal was tenant and operating the unit in the name of M/s Piyush Aggarwal & has vacate the premises on 1.02.2009 & now no such type of unit operating in the premises.
reminder issued which was returned back undelievered. Letter pasted, no reply received.
	Call on 28.05.2009

	301
	39h
	AP
	RAVI SHARMA
	A-55
	 
	 
	 
	 
	 
	 
	             17.11.2008
Ask the unit to apply for Consent to Establish. Call on 03.12.2008
            07.01.2009
Call on 25.02.2009
           25.02.09
Ask the unit to submit an affidavit that the unit has closed its operations. Call on 15.04.09
	Letter issued. Reply received on 10.12.2008. Unit has informed that they have closed down the presing activity and no single product has been produced, so requesting to eliminate name from the consent list.
Letter isued which was returned back undelievered. Letter pasted, no reply received.
	Call on 28.05.2009

	302
	39i
	AP
	ARIHAN INDS
	A-55
	 
	 
	 
	 
	 
	 
	             17.11.2008
Ask the unit to apply for Consent to Establish. Call on 03.12.2008
             07.01.2009
Issue reminder to the unit to apply for Consent to Establish.
           25.02.09
 Issue reminder to the unit to apply for Consent to Establish. 
	Letter issued. No reply received.
Reminder issued which was returned back undelievered. Letter pasted, no reply received.
	Call on 28.05.2009

	303
	39j
	AP
	MITTAL INDS
	A-55
	 
	 
	 
	CTE on15.12.2008 vide ID no. 28385 under Orange category
	 
	 
	             17.11.2008
Ask the unit to apply for Consent to Establish. Call on 03.12.2008
           07.01.2009
Call on 25.02.2009
           25.02.09
 Call on 15.04.2009
	Letter issued. Reply received on 16.12.2008. Unit has informed that they have applied for CTE on15.12.2008 vide ID no. 28385.
	Call on 28.05.2009

	304
	40a
	AP
	SUPER ENTERPRISES 
	A-115/1
	Casting of ferrous and non ferrous metals
	 
	 
	 
	CTO(R) on 20.09.2004 (valid upto 10.08.2007)
CTO(R) on 14.09.2007 vide I.D. No. 23502.
	 
	            07.01.2009
Issue reminder to the unit to submit Bank Guarantee of Rs. 1 lakh  under HWM Rules valid upto 06.02.2010.
           25.02.09
Issue reminder to the unit to submit Bank Guarantee of Rs. 1 lakh  under HWM Rules valid upto 06.02.2010.
	Letter issued.
Reply received on 11.02.2009.
BG not submitted. Unit has informed that they have taken all adequate measures to comply with the provision of HWM Rules like hazardous waste is stored in leak proof containers and the containers are duly marked as with "Hazardous Waste" in red colour and with date of begining of storage on each container, HW container is stored on pucca floor in and isolated covered area, duly filed display boards 6' x 4' as prescribed by local area environment committee for Delhi, record of HW is being maintained in form 3 and annual return of HW has been filed DPCC and requested to withdraw the said notice.
Reply received on 15.04.2009 & informed the same story as earlier.
	Call for personal hearing on 28.05.2009 at 6.50 PM.

	305
	40b
	AP
	S.M. Inds
	A-115/1
	 
	 
	 
	Applied for CTE on 09.01.2009 vide I.D. No. 28623.
	 
	 
	            17.11.2008
Ask other unit M/s S.M. Inds to apply for Consent to Establish and to install ECS. Call on 03.12.2008.
            07.01.2009
Issue reminder to the unit to apply for Consent to Establish and to install ECS.
          25.02.09
Ask the unit to submit an adequacy report for ECS from an empanelled consultant of DPCC.
	Letter issued.
Applied for CTE on 09.01.2009 vide I.D. No. 28623.
Reply received on 09.02.2009. Unit has informed that they have already placed the order for installation of ECS on buffing machines. As soon as job is completed, the adequacy report will be submitted and requested to give 2 months time to complete the job.
Unit has applied for CTE under Orange category on 09.01.2009 vide ID no. 28623.
Letter issued, Reply received on 17.04.09 Unit has informed that they have applied in GGSIPU, so requesting one month more time to submit the AR of ECS..
	Time allowed till 28.05.2009. Call on 28.05.2009

	306
	41
	AP
	RAMA COACH BUILDERS
	A-15
	 
	 
	 
	 
	 
	 
	            07.01.2009
Issue reminder to the unit to apply for Consent to Establish. 
          25.02.09
Issue reminder to the unit to apply for Consent to Establish. 
	Reply received 02.12.2008. Unit has informed that they have obtained Consent under Green category valid upto 28.08.2005 and will applied Renewal of Consent within a week. However, unit has not applied Renewal.
Reminder issued, no reply received.
	Issue final reminder to the unit to apply for Consent to Establish. Call on 28.05.2009

	307
	42
	AP
	Maha Laxmi Ind.
	B-71 
	 
	 
	 
	Applied for CTEon 03.12.2008 vide ID no. 28275
	 
	 
	                      17.11.2008
Issue notice for closure for not applying for CTE. Call on 03.12.2008
                       07.01.2009
Call on  25.02.2009
            25.02.09
Ask the unit to sumit adequacy report of installed ECS. 
	Letter issued. Reply received on 15.04.09 & unit requesting 2-3 months time to submit the adequacy report.
	Time allowed till 28.05.2009. Call on 28.05.2009

	308
	43
	AP
	Nav Bharat Steel
	B-79 
	 
	 
	 
	 
	 
	 
	                      17.11.2008
Paste the letter. Call on 03.12.2008
                  07.01.2009
Issue reminder to the unit to apply for Consent to Establish.
                 25.02.09
Paste letter on the premises.
	Final reminder issued to the unit to apply for CTE.
Letter returned back undelievered. Letter pasted, no reply received.
	Call on 28.05.2009

	309
	44
	AP
	Anil Gupta
	B-21 
	 
	 
	 
	 
	 
	 
	                      17.11.2008
Paste the letter. Call on 03.12.2008
             07.01.2009
Issue reminder to the unit to apply for Consent to Establish.
            25.02.09
Paste letter on the premises.
	Final reminder issued to the unit to apply for CTE.
Letter returned back undelievered. Letter pasted, no reply received.
	Call on 28.05.2009

	310
	45
	AP
	Subhash Goel
	B-22/2 
	 
	 
	 
	 
	 
	 
	                      17.11.2008
Issue notice for closure for not applying for CTE. Call on 03.12.2008
                   07.01.2009
Call on  25.02.2009
            25.02.09
Ask the unit namely Durga Steel Industries to apply for Consent to Establish.
	Letter issued. Reply received on 02.12.2008 from the M/s Durga Steel Industries. Unit has informed that:-
1. No unit exists in the name of M/s Subash Goel at the said premises
2. M/s Durga Steel Industrise operates at the said premises with Prop. name Mr. Arun Garg and already applied for CTO on 05.09.2005 vide ID no. 16283.
Letter issued, no reply received.
	Issue final reminder to the unit to apply for Consent to Establish. Call on 28.05.2009

	311
	46
	AP
	P.C. Interprieses
	B-23 
	 
	 
	 
	 
	 
	 
	                      17.11.2008
Paste the letter. Call on 03.12.2008
                    07.01.2009
Issue reminder to the unit to apply for Consent to Establish.
      25.02.09
Paste letter on the premises.
	Final reminder issued to the unit to apply for CTE.
Letter returned back undelievered. Letter pasted, no reply received.
	Call on 28.05.2009

	312
	47
	AP
	Mohan Bros.
	B-29 
	Mfg. of utensils with buffing
	50 pcs/day
	 
	Applied for CTE on 29.09.2008 vide I.D. No. 27610
	CTO(R) refused on 25.09.2006 vide refusal no. 1330.
	 
	                     07.01.2009
Issue reminder to the unit to file an affidavit for correction of deficiencies noted by SIT during inspecton . Unit may also be asked to submit Bank Guarantee of Rs. 50,000  under Air Act, 1981  valid upto 06.02.2010. 
               25.02.09
Issue reminder to the unit to file an affidavit for correction of deficiencies noted by SIT during inspecton, which were communicated earlier & also to submit Bank Guarantee of Rs. 50,000  under Air Act, 1981  valid upto 06.02.2010. 
	Letter issued, no reply received.
	Issue final reminder to the unit to file an affidavit for correction of deficiencies noted by SIT during inspecton, which were communicated earlier & also to submit Bank Guarantee of Rs. 50,000  under Air Act, 1981  valid upto 06.02.2010.  Call on 28.05.2009

	313
	49
	AP
	Transport Equipement
(Prop. Dalip)
	B-29/1 
	rubber components: 10000pcs/month, cargin mounting: 800pcs/month, oil seal: 50000pcs/month
	 
	 
	CTE applied on 23.09.2008 vide ID no 27497
	 
	 
	                      17.11.2008
SIT to inspect and report. Call on 07.01.2009
                07.01.2009
Ask the unit to correct the deficiencies observed during the inspection and submit an affidavit in this regard.
         25.02.09
Ask the unit to submit an affidavit regarding the correction of SIT deficiencies.
	Letter issued. Reply received on 16.02.2009 without an affidavit. Unit has informed that they have corrected the deficiencies & asked 45 days for installation of accoustic enclosure & ECS.
Letter issued, affidavit not submitted.
	Insist the unit to submit an affidavit regarding the correction of SIT deficiencies. Call on 28.05.2009

	314
	50
	AP
	Jaina Steel
	B-29/2 
	 
	 
	 
	 
	 
	 
	                      17.11.2008
Paste the letter. Call on 03.12.2008
                    07.01.2009
Issue reminder to the unit to apply for Consent to Establish.
      25.02.09
Paste letter on the premises.
	Final reminder issued to the unit to apply for CTE.
Letter returned back undelievered. Letter pasted, no reply received.
	Call on 28.05.2009

	315
	51
	AP
	Vinod Industries
	B-68/4 
	 
	 
	 
	 
	 
	 
	                      17.11.2008
Paste the letter. Call on 03.12.2008
                    07.01.2009
Issue final reminder to the unit to apply for Consent to Establish.
	Final reminder issued to the unit to apply for CTE.
Letter returned back undelievered. Letter pasted, no reply received.
	Call on 28.05.2009

	316
	52
	AP
	H.D.Aggarwal
	B-5,Group  
	 
	 
	 
	 
	 
	 
	                      17.11.2008
Paste the letter. Call on 03.12.2008
                 07.01.2009
Issue final reminder to the unit to apply for Consent to Establish.
              25.02.09
Paste letter on the premises.
	Final reminder issued to the unit to apply for CTE.
Letter returned back undelievered. Letter pasted, no reply received.
	Call on 28.05.2009

	317
	53
	AP
	Wilson Polymer
	B-10/11
	Mfd. Of Plastic container (as per inspection report)
	 
	 
	 
	 
	 
	                              17.11.2008
Ask the new three units found by SIT to apply for Consent to Establish.Call on 03.12.2008
                          07.01.2009
Issue reminder to the unit to apply for Consent to Establish. 
                    25.02.09
Issue reminder to the unit to apply for Consent to Establish.
	Letter issued. No reply received.
	Issue final reminder to the unit to apply for Consent to Establish. Call on 28.05.2009

	318
	54
	AP
	Sh. Bharat Bhusan (P.M. Industries)
	B-10/11, Ground floor
	Circle Cutting (as per SIT report)
	 
	 
	 
	 
	 
	                              17.11.2008
Ask the new three units found by SIT to apply for Consent to Establish.Call on 03.12.2008
                      07.01.2009
Issue reminder to the unit to apply for Consent to Establish.
                     25.02.09
 Paste letter on the premises.
	Final reminder issued to the unit to apply for CTE.
Letter returned back undelievered. Letter pasted, no reply received.
	Call on 28.05.2009

	319
	55
	AP
	Neel Gagan
	B-31, Group  
	 
	 
	 
	 
	CTO(R) refused on 28.10.2005 vide refusal no. 949 under Green category
	 
	                      17.11.2008
Paste the letter. Call on 03.12.2008
                      07.01.2009
Issue reminder to the unit to apply for Consent to Establish. 
                 25.02.09
Paste letter on the premises.
	Final reminder issued to the unit to apply for CTE.
Letter returned back undelievered. Letter pasted, no reply received.
	Call on 28.05.2009

	320
	57
	AP
	Deepak Hosiery Pvt. Ltd. (Unit-II)
	A-131/4, Group  
	Buffing
	 
	BG of Rs. 50 thousand submitted on 23.12.2008 under Air Act valid upto 06.02.2010.
	CTE applied on 17.09.2008 
	CTO application submitted on 13-04-2009 vide Id no-29510
	 
	                      17.11.2008
Ask the unit M/s Deepak Hosiery Pvt. Ltd. (Unit-II) to submit adequacy report of ECS, CGWA clearance and Bank Guarantee of Rs. 50000 under Air Act, 1981 valid upto 06.02.2010. Call on 03.12.2008.
              07.01.2009
Issue reminder to the unit to submit adequacy report of ECS and CGWA clearance.
             25.02.09
Refer to CEO, DJB for opinion on the permision required for ground water extraction and adequacy report
	Common letter issued to DJB on 06.04.09 & reply is yet to recived . 
	Call on 28.05.2009

	321
	58
	AP
	Sheetal Enterprises (Subhash Jain)
	A-124, Group  
	 
	 
	 
	Applied for CTE on 17.09.2008 vide I.D .No 27379 in the name of M/s Sheetal Enterprises (Unit-II)
	CTO (R) on 16.07.2007 vide I.D .No. 22444 under Green category in the name of M/s Sheetal Enterprises
	 
	                      17.11.2008
SIT to inspect and report. Call on 07.01.2009
                        07.01.2009
Call on 25.02.2009
            25.02.09
Ask the unit to clarify the exact location and plan of the working area.
	Unit has submitted an adrequacy report on 27.02.2009.
Unit has submitted the location plan on 13.04.09.
	Insist the unit to clarify the exact location and plan of the working area. Call on 28.05.2009

	322
	59
	AP
	Deepak kumar
	A-121, Group  
	 
	 
	 
	 
	 
	 
	                      17.11.2008
Paste the letter. Call on 03.12.2008
                       07.01.2009
Ask the unit namely Ashoka Steel Fabrica to apply for Consent to Establish.
                        25.02.09
Issue reminder to the  unit namely Ashoka Steel Fabrica to apply for Consent to Establish. Also ask the unit to submit an affidavit stating that M/s Deepak Kumar is not exist at the premises.
	Letter pasted on the premsises. Letter teared within 5 minutes.
Reply received on 17.12.2008 from M/s Ashoka Steel Fabrica. They have informed that Mr. Deepak Kr. Vacated the premises in 2004-2005 & currently no such name/type of unit is functional in the said premises.
Letter issued. No reply received.
	Issue final reminder to the  unit namely Ashoka Steel Fabrica to apply for Consent to Establish. Also ask the unit to submit an affidavit stating that M/s Deepak Kumar is not exist at the premises. Call on 28.05.2009

	323
	60
	AP
	Swastik Enterprises
(Prop. Sanjay Kejriwal)
	A-116, Group  
	Annealing of S.S.sheets (as per consnet application)
	40 tones/month (As per Cosent application)
	 
	 
	Applied for CTO on 04.11.2003
closure direction issued on 09.07.2003
	 
	                      17.11.2008
Issue notice for closure for not applying for CTE. Call on 03.12.2008
                    07.01.2009
Issue final reminder to the unit to apply for Consent to Establish.
              25.02.09
Issue final reminder to the unit to apply for Consent to Establish.
	Letter issued.
No reply received.
	Issue final reminder to the unit to apply for Consent to Establish. Call on 28.05.2009

	324
	64
	AP
	Sh. Farooque
	A-93/4,  Group  
	 
	 
	 
	CTE applied on 06.01.2009 vide ID no. 28612 under Green category
	 
	 
	                      17.11.2008
SIT to inspect and report. Call on 07.01.2009
                     07.01.2009
Put up administratively for the case of M/s Ashish Steel Industries who is found to be engaged in the activity of pickling by SIT during their inspection dated 03.01.2009.
Ask Sh. Farooq of Ist Floor engaged in shearing work to apply for CTE.
                 25.02.09
 Ask the unit to clarify the exact location and plan of the working area.   
	Letter issued.
Mohd. Farooque has applied CTE under Green category on 06.01.2009 vide ID no. 28612.
Letter issued.
Reply received on 22.04.09, unit has submitted the exact location plan of working area.
	Shift the case to CMC(Green) Committee.

	325
	66
	AP
	Shiv Interprises
	A-84, Group  
	 
	 
	 
	 
	 
	 
	                      17.11.2008
Issue notice for closure for not applying for CTE. Call on 03.12.2008
                     07.01.2009
Issue final reminder to the unit to apply for Consent to Establish.
                     25.02.09
Issue final reminder to the unit to apply for Consent to Establish.
	Letter issued.
Reply received on 05.03.2009 & informed that they have applied CTE under Green category on 04.03.2009 vide ID no. 29161.
CTE issued under Green category.
	Shift the case to CMC(Green) Committee.

	326
	67
	AP
	Naresh kumar
	A-48, Group  
	Mfd. Of S. S. utensils with buffing
	250 kg/day
	 
	Applied for CTE on 09.09.2008 vide I.D.No. 27262.
	 
	 
	                      17.11.2008
SIT to inspect and report. Call on 07.01.2009
                      07.01.2009
Ask the unit to correct the deficiencies observed during the inspection and submit an affidavit in this regard.
                     25.02.09
Ask these units to clarify the exact location and plan of the working area.
	Letter issued.
Reply received on 10.02.2009. Unit has informed that there is another unit called M/s Paras Steel House who has consent to operate for the actiivty of mfg.of S.S. Utensils (without buffing). Only one activity left i.e. buffing, whose CTE has been applied in DPCC under the name of M/s Naresh Kumar. ECS is being installed at buffing machines and expected to complete upto 25th Feb, 2009. The order for acoustic enclosure has been placed to the party, it will take about a month to complete the job. By the 10th march, ECS and acoustic work will gets completed and unit will submit completion report and adequacy and noise monitoring reprot
Letter received from Paras Steel house & Naresh kumar on 13.04.09 & submit the exact location plan.
	Call on 28.05.2009

	327
	68
	AP
	M.K.Jain
	A-36, Group  
	 
	 
	 
	 
	 
	 
	                      17.11.2008
Paste the letter. Call on 03.12.2008
                     07.01.2009
Issue final reminder to the unit to apply for Consent to Establish.
                     25.02.09
Paste letter on the premises.
	Final reminder issued.
Letter returned back undelievered.
Letter pasted, no rpely received.
	Call on 28.05.2009

	328
	69
	AP
	Jain Steels (Backside)
	A-80, Group  
	 
	 
	 
	CTE on 19.09.2008 vide I.D. No. 27441(M/s Pooja Steel).
	 
	 
	                      17.11.2008
SIT to inspect and report. Call on 07.01.2009
                    07.01.2009
Call on 25.02.2009
             25.02.09
Call on 15.04.2009
	Letter issued.
Reply received from M/s Pooja Steels on 22.09.2008
(i) Applied for CTE on 19.09.2008.
(ii) CGWA clearance is not required as they have no borewell and using DJB water.
(iii) the activity of the unit is mfg. of S.S. Circle and pressing of circle to make utensils so there is no need to install ECS.
(iv) Sewer connection has been linked to the conveyance system of CETP.
	Call on 28.05.2009

	329
	70
	AP
	Ganga Steel
	A-140 
	 
	 
	 
	 
	 
	 
	                      17.11.2008
Issue notice for closure for not applying for CTE. Call on 03.12.2008
                        07.01.2009
Issue final reminder to the unit to apply for Consent to Establish.
                25.02.09
Issue final reminder to the unit to apply for Consent to Establish.
	Letter issued.
No reply received.
	Call for personal hearing on 28.05.2009 at 7.00 PM.

	330
	71
	AP
	Balaji Steel
	A-140 
	Mfg. of S.S. utensils
	150-200 kg/day
	CTE applied on 13.04.09 vide ID no. 29513
	 
	 
	 
	                      17.11.2008
Issue notice for closure for not applying for CTE. Call on 03.12.2008
                    07.01.2009
Issue final reminder to the unit to apply for Consent to Establish.
              25.02.09
Issue final reminder to the unit to apply for Consent to Establish.
	Letter issued.
CTE applied
	Call on 28.05.2009

	331
	72
	AP
	Haryana Wire Products
	A-126 
	Copper wire drawing
	 
	 
	 
	CTO (R) on 19.07.2005 vide I.D. No. 15248.
	 
	                           07.01.2009
Call on 25.02.2009
Ask the new three units namely (i) Friends Pressing Work (ii) Subhash Gupta and (iii) Deepak to apply for Consent to Establish.
            25.02.09
Call on 15.04.09 with name change of the unit.
Issue reminder to all three units. 
	Letter issued.
Reply received from Haryana Wire Products on 25.09.2008. Unit has informed that no unit running in the name of Parveen Jain. Parveen Jain is the manager of M/s Haryana Wire Products. Unit has already member of WIPCC and applied for CTO(R).
Letter issued. No reply received.
	Ask the unit to apply for Consent to Establish. Call on 28.05.2009

	332
	73
	AP
	Sunder Exports Pvt. Ltd.
	A-120 
	S.S. Utensils without buffing
	800-1000 kg/day
	BG of Rs. 50,000 under Air Act submitted valid upto 06.02.2010..
	CTE applied on 07.10.2008 vide ID No. 27701.
	CTO(R) obtained on 13.04.2006 vide consent order no. 14009 (valid upto 29.03.2009)
	 
	                     07.01.2009
Ask the unit to  submit Bank Guarantee of Rs. 50000 under Air Act, 1981
                       25.02.09
Issue Consent to Establish. 
	Letter issued.
Reply received on 12.02.2009
Bank Guarantee and AR submitted. CTE issued.
	Ask the unit to apply fresh for renewal of consent. Call on 28.05.2009

	333
	75
	AP
	A.K.Jain
	A-110 
	 
	 
	 
	CTE applied on 04.12.2008 vide Id no. 28297 under Orange category
	 
	 
	                      17.11.2008
Paste the letter. Call on 03.12.2008
                  07.01.2009
Call on 25.02.2009
           25.02.09
Ask the unit to submit adequacy report.
	Letter pasted on the premises.
Reply received on 10.12.2008. Unit has informed that:-
1. Already applied for CTE on 04.12.2008 vide ID no. 28297.
2. No borewell, no CGWA required.
3. ECS has been installed.
4. Sewer connection has been linked to the conveyance system of the CETP.
Letter issued, no reply received.
	Issue final reminder to the unit to file adequacy report from empanelled consultant of DPCC. Call on 28.05.2009

	334
	76
	AP
	Naresh Kumar (Back Side)
	A-110 
	 
	 
	 
	 
	 
	 
	                      17.11.2008
Paste the letter. Call on 03.12.2008
                      07.01.2009
Call on 25.02.2009
          25.02.09
Ask the unit namely A.K. Jian to submit an affidavit stating that Naresh Kumar is not existing at the premises.
	Letter issued. Reply received on 01.12.2008 from M/s A.K. Jain. Unit has informed that there is no unit exists in the name of Naresh Kumar. Unit is working under the name of A.K. Jain whose CTE has been applied in DPCC. AK Jain listed above
Letter issued, no reply received.
	Issue final reminder to the unit namely A.K. Jian to submit an affidavit stating that Naresh Kumar is not existing at the premises. Call on 28.05.2009

	335
	77
	AP
	Salasar Steel
	A-99 
	Cold re-rolling of S.S. Sheets
	1 tonne/day as per affedavit.
	 
	CTE on 17.09.2008 vide I.D. No. 27386
	CTO on 05.09.2005 vide I.D. No. 16286
	 
	                      17.11.2008
SIT to inspect and report. Call on 07.01.2009
                         07.01.2009
Put up administratively
                25.02.09
Call on 15.04.2009
	Letter issued.
Reply received on 22.09.2008
(i) Applied for CTE on 17.09.2008.
(ii) CGWA clearance is not required as they have no borewell.
(iii) the activity of the unit is cold re-rolling of S.S. Sheet so there is no need to install ECS.
(iv) Sewer connection has been linked to the conveyance system of CETP.
After being put up administratively it aws decieded to issue letter regarding the contradiction in activity in SIT report & affidavit submitted. 
Letter issued. No reply received.
	Issue final reminder. Call on 28.05.2009

	336
	78
	AP
	Deco Industries (Ashok Dua)
	A-99/5 
	PVC & LPE wire & cable
	 
	 
	 
	CTO (R) obtained on 10.11.2006 vide consent order no. 17548 (valid upto 18.09.2009)
	 
	                      17.11.2008
No action.
                    07.01.2009
Call on 25.09.2009
           25.02.09
Call on 15.04.2009
	Letter issued.
Reply received from Deco Industries (India) on 15.09.2008. Unit has informed that they have obtained consent which is valid upto 18.09.2009.
	No action.

	337
	79
	AP
	Ramesh Kumar
	A-100 
	 
	 
	 
	 
	 
	 
	                      17.11.2008
Paste the letter. Call on 03.12.2008
                      07.01.2009
Issue reminder to the unit to apply for Consent to Establish. 
                 25.02.09
Issue reminder to the unit to apply for Consent to Establish. 
	Letter pasted on the premsises.
No reply received. 
Letter issued. No reply received.
Letter issued which was returned back undelievered. Letter pasted, no reply received.
	Call on 28.05.2009

	338
	80
	AP
	Ajay Bansal
	A-101/11 
	Cold re-rolling of S.S. Sheets
	 
	 
	 
	CTO (R) obtained on 01.11.2006 vide consent order no. 17529 (valid upto 29.09.2008)
CTO(R) on 26.09.2008 vide I.D. No. 27587.
	 
	                      17.11.2008
SIT to inspect and report. Call on 07.01.2009
                     07.01.2009
Call on 25.09.2009
             25.02.09
Call on 15.04.2009
	Letter issued.
Reply received from M/s Rajiv Industries on 29.09.2008 and informed that no such unit or person exist at the premises. M/s Rajiv Industries are operating for which unit has applied for CTO(R).
	Call on 28.05.2009

	339
	81
	AP
	RAJ BAHADUR
	A-102/5 
	Buffing of S.S. Utensils
	Not mentioned.
	 
	CTE applied on 29.10.2007 vide ID no. 24045
	 
	 
	                      17.11.2008
Ask the Raj Bahadur to apply for Consent to Establish and install ECS.
Issue notice for cosure to powder coating unit operating at ground floor.
Call on 03.12.2008
                        07.01.2009
Call on 25.0.2009
      25.02.09
Ask the unit to file adequacy report and affidavit. Call on 15.04.2009
	Letter issued. Reply received on 02.12.2008. Unit has informed that they have applied for CTE on 29.10.2007 vide ID no. 24045.
Letter issued which was returned back undelievered. Letter pasted, no reply received.
	Call on 28.05.2009

	340
	82
	AP
	POWDER COATING UNIT
	A-102/5 
	Powder Coating on Stainless Utensils
	200 pcs/day
	 
	CTE applied on 29.10.2007 vide ID no. 24046
	 
	 
	                      17.11.2008
Ask the Raj Bahadur to apply for Consent to Establish and install ECS.
Issue notice for cosure to powder coating unit operating at ground floor.
Call on 03.12.2008
                       07.01.2009
Call on 25.0.2009
           25.02.09
Ask the unit to file adequacy report and affidavit. Call on 15.04.2009
	Letter issued. Reply received on 02.12.2008 from Salasar Ji Enterprises. Unit has informed that they have applied for CTE on 29.10.2007 vide ID no. 24046.
Letter issued which was returned back undelievered. Letter pasted, no reply received.
	Call on 28.05.2009

	341
	83
	AP
	VINOD ENTERPRISES
	A-103/4 
	 
	 
	BG of Rs. 50000 under air act submitted. Valid upto 06.02.2010
	CTE applied 09.07.07 vide Id no.23844
	CTO on 09.09.08 vide ID 27257
	 
	                      17.11.2008
Ask the another unit Vinod Enterprises to file adequacy report and affidavit for deficiencies and BG of Rs. 50000 under Air Act. Call on 03.12.2008
                    07.01.2009
Ask the unit to submit Bank Guarantee of Rs. 50000 under Air Act.
                  25.02.09
Time allowed to submit the Bank Guarantee as requested upto 31.3.2009. Call on 15.04.2009
	Letter issued.
Reply received on 11.02.2009. Unit has requested to give one month time to submit Bank Guarantee.
BG of Rs 50000under Air Act submited on 04.03.2009 valid upto 06.02.2010
	Call on 28.05.2009

	342
	84
	AP
	Kuber Steel
(Prop.Sanjay Jain)
	A-103/5 
	Mfd. S.S. utensils with buffing
	250 kg/day
	 
	CTE applied on 09.09.2008 vide ID No.27261
	 
	 
	                      17.11.2008
SIT to inspect and report. Call on 07.01.2009
                    07.01.2009
Ask the unit to install Emmission Control System (ECS) with buffing machine.
                  25.02.09
Issue reminder to the unit to install Emmission Control System (ECS) with buffing machine
	Letter issued, Reply received on 15.04.2009 & informed that they have installed the ECS & AR will be submitted within 15 days
	Time allowed till 28.05.2009. Call on 28.05.2009

	343
	85
	AP
	Ishwar Goel
	A-103/6 
	 
	 
	 
	 
	 
	 
	                      17.11.2008
Issue notice for closure for not applying for CTE. Call on 03.12.2008
                     07.01.2009
Issue reminder to the unit to apply for Consent to Establish.
                   25.02.09
 Issue reminder to the unit to apply for Consent to Establish. 
	Letter issued.
No reply received.
	Issue final reminder to the unit to apply for Consent to Establish. Call on 28.05.2009

	344
	87
	AP
	 Shanti Steel Industries
(Prop. Jawahar Madan)
	A-104/6 
	Mfg. of S.S. Utensils without pickling & buffing.
	400 pcs/day
	 
	CTE applied on 26.09.2008 vide ID No. 27585
	CTO obtained on 01.03.2005 vide consent order no. 12367 (valid upto 09.11.2009)
	 
	                     07.01.2009
Ask the unit to install Emmission Control System (ECS) with buffing machine and provide proper acoustic enclosure and stack height with the D.G. Set of 62.5 KVA.
                  25.02.09
Issue reminder to the unit to install Emmission Control System (ECS) with buffing machine and provide proper acoustic enclosure and stack height with the D.G. Set of 62.5 KVA.
	Reply received on 13.04.2009 & informed that unit has install ECS and accoustic enclosure & stack height over DG sets. Unit has applied for AR of ECS, as & when AR received same will be submitted.
	Call on 28.05.2009

	345
	88
	AP
	Ratan Lal Jain
	A-104/7 
	 
	 
	 
	 
	 
	 
	                      17.11.2008
Issue notice for closure for not applying for CTE. Call on 03.12.2008
                     07.01.2009
Issue reminder to the unit to apply for Consent to Establish. 
                    25.02.09
Issue reminder to the unit to apply for Consent to Establish. 
	Letter issued.
Reply received o 03.12.2008. Unit has informed that they required 15-20 days to apply for consent.
Letter issued, Reply received on 15.04.09, Unit has informed that they have applied CTE under Green category on 22.12.08 vide ID no. 28453.
	Shift the case to CMC(Green) Committee.

	346
	89
	AP
	B.R. Industries
	A-104/11 
	Rubber sole sheet / footwear
	850 kgs/day
	Rubber Sole Sheet/Footwear
	 
	CTO (R) obtained on 12.09.2006 vide consent order no. 16797 (valid upto 01.08.2008)
Applied for CTO(R) on 13.08.2008 vide I.D.No. 26959.
	 
	                      17.11.2008
Issue notice for closure for not applying for CTE and listing out all the deficiencies noted by SIT. Call on 03.12.2008
                     07.01.2009
Issue reminder for correction of deficiencies observed by the SIT and informed earlier..
                   25.02.09
Ask the unit to comply the deficinecies communicated earlier. 
	Letter issued.
Reply received on 05.02.2009. Unit has informed that they are engaged in mfg. of rubber sole sheet / footwears (chappals) and not generating any type of hazadous waste and applied for CTO (R) on 13.08.2008.
Letter issued, Reply received on 15.04.09, Unit has informed that they have already submmited the reply on 05.02.09 & asked the SIT deficiencies..
	File be submitted administratively.

	347
	90
	AP
	Mishra Steel Ware
	A-109/1 
	Circle cutting and mfd. Of utensils
	250 kg/day
	 
	 
	CTO granted under Green categoryon 27.07.2006 & valid upto 16.05.2011 in the name of Steel Ware India
	 
	                      17.11.2008
SIT to inspect and report. Call on 07.01.2009
                    07.01.2009
Ask the unit to install Emmission Control System (ECS) with buffing machine and submit CGWA clearance.
                  25.02.09
Reminder to install Emmission Control System (ECS) with buffing machine and submit CGWA clearance and CGWA clearance.
	Letter issued. No reply received.
	Issue final reminder to install Emmission Control System (ECS) with buffing machine and submit DJB clearance for ground water extraction. Call on 28.05.2009

	348
	93
	AP
	B.M.Steel
	A-94/2 
	 
	 
	 
	 
	 
	 
	                      17.11.2008
Issue notice for closure for not applying for CTE. Call on 03.12.2008
                        07.01.2009
Issue reminder to the unit to apply for Consent to Establish. 
                    25.02.09
Issue reminder to the unit to apply for Consent to Establish.
	Letter issued.
No reply received.
Reminder issued which was returned back undelievered. Letter pasted, no reply received.
	Call on 28.05.2009

	349
	94
	AP
	Navneet Kumar
	A-94/2 
	 
	 
	 
	 
	 
	 
	                      17.11.2008
Issue notice for closure for not applying for CTE. Call on 03.12.2008
                     07.01.2009
Issue reminder to the unit to apply for Consent to Establish.
                    25.02.09
 Issue reminder to the unit to apply for Consent to Establish.
	Letter issued.
No reply received.
	Issue final reminder to the unit to apply for Consent to Establish. Call on 28.05.2009

	350
	95
	AP
	Vinod Kumar
	A-93/19 
	 
	 
	 
	 
	 
	 
	                      17.11.2008
Refuse consent. Disconnect water & power supply to the unit. 
SIT to inspect and report. Call on 07.01.2009
                     07.01.2009
Issue reminder to DJB for compliance. Call on 25.02.2009 with SIT report.
                    25.02.09
Issue reminder to DJB for compliance. 
Ask the new two units to apply for Consent to Establish. 
	Letter issued. Reply received from Sh. Subhash Jain owner of premises on 17.09.2008 informed that there is no unit in the name of Vinod Kumar. Vinod Kumar was tenant who has vacated the premises.
Letter issued. Reply received on 05.12.2008 from the owner of the premises and informed that Vinod Kumar was tenant who has vacated the premises, so he requesting to revoke the wrong disconnection electricity order. 
Compliance report received from NDPL on 18.12.2008 stating that No conection/firm exists at site against this name.
Letter issued to DJB & no reply received
	Issue final reminder for compliance report. Call on 28.05.2009

	351
	 
	 
	J.D. Product
	A-93/19 
	 
	 
	CTE applied on 26.02.2009 vide ID no. 29126
	 
	 
	 
	                    25.02.09
Ask the new two units to apply for Consent to Establish. 
	CTE applied.
	Call on 28.05.2009

	352
	 
	 
	Puneet Goyal
	A-93/19 
	 
	 
	CTE under Green category applied on 26.02.2009 vide ID no. 29125
	 
	 
	 
	                    25.02.09
Ask the new two units to apply for Consent to Establish. 
	CTE applied.
CTE granted in CMCGreen) meeting dated 05.03.09.
	Shift the case to CMC(Green) Committee.

	353
	96
	AP
	Batu Ram
	A-93/12 
	 
	 
	 
	 
	 
	 
	                      17.11.2008
Issue notice for closure for not applying for CTE. Call on 03.12.2008
                     07.01.2009
Ask the units M/s Ved Prakash, Sheela Devi & Nirmal Goel to apply for Consent to Establish.
                  25.02.09
Ask the unit M/s Ved Prakash, Sheela Devi & Nirmal Goel to submit an affidvit stating that no unit in the name of Batu Ram is exist at the premises. 
	Letter issued.
Reply received on 03.12.2008 from M/s Ved Prakash, Sheela Devi & Nirmal Goel stating that there is no unit in the name of M/s Batu Ram, the responded has submitted CTO application on 31.03.2005 vide I.D.No. 13314.
M/s Ved Parkash, Sheela Devi & nirmal goel has applied for CTR under Orange category on 15.12.2008 vide 28371.
Letter issued, Affidavit submitted on 15.04.09.
	Remove from the list.

	354
	98
	AP
	Anil Enterpises
(Prop. P.K.Jain)
	A-93/9 
	Mfd. Of utensils with buffing
	500 pcs/day
	 
	CTE applied on 12.09.2008 vide ID No. 27309.
	CTR applied on 15.01.2007
	 
	                      17.11.2008
SIT to inspect and report. Call on 07.01.2009
                   07.01.2009
Ask the unit to install Emmission Control System (ECS) with buffing machine and provide proper acoustic enclosure and stack height with the D.G. Set of 62.5 KVA.
                 25.02.09
Call on 15.04.2009
	Unit is again requesting 15 days more time for compliance.
	Time allowed till 28.05.2009. Call on 28.05.2009

	355
	100
	AP
	Maheshwari Enterprises
	A-93/8 
	 
	 
	 
	CTE under Green category on 20.01.2009 vide ID no. 28724.
	 
	 
	                      17.11.2008
Ask the unit Maheshwari Enterprises to submit CTE application and affidavit for correction of defciencies. Call on 03.12.2008.
                         07.01.2009
Issue reminder to the unit to apply for Consent to Establish and also to correct the deficiencies intimated earlier. 
                      25.02.09
Issue reminder to the unit to correct the deficiencies intimated earlier and submit an affidavit in this regard.
	Letter issued. Unit has applied for CTE under Green category on 20.01.2009 vide ID no. 28724.
Letter issued, no reply received.
	Shift the case to CMC(Green) Committee.

	356
	101
	AP
	Subash Jain ( Shikha Steel)
	A-92 
	Mfd. Of utensils with buffing
	5 ton/month
	 
	 
	CTE on 26.09.2008 vide I.D. No. 27592.
	 
	                      07.01.2009
Call on 25.02.2009
Ask the new unit namely M/s Shikha Steel to correct the deficiencies observed during the inspection by SIT and submit an affidavit in this regard.
             25.02.09
Reminder to new unit namely M/s Shikha Steel to submit an affidavit for correction of SIT deficiencies
	Unit has submitted the AR of ECS on 01.04.2009.
Affidavit submitted for SIT deficiencies on 13.04.2009
	Issue Consent to Establish. Call on 28.05.2009

	357
	103
	AP
	Durga Plastic
	A-89
	Plastic moulding work
	 
	 
	 
	 
	 
	                      17.11.2008
Issue notice for closure to new six units to apply for Consent to Establish.
                    07.01.2009
Issue final reminder to the unit to apply for Consent to Establish.
                    25.02.09
Paste letter on the premises.
	Final reminder issued to the unit to apply for CTE.
Letter returned back undelievered. Letter pasted, no reply received.
	Call on 28.05.2009

	358
	104
	AP
	 Bharat Coating
	A-89
	Powder Coating
	 
	 
	 
	 
	 
	                      17.11.2008
Issue notice for closure to new six units to apply for Consent to Establish.
                      07.01.2009
Issue final reminder to the unit to apply for Consent to Establish.
                       25.02.09
Paste letter on the premises.
	Final reminder issued to the unit to apply for CTE.
Letter returned back undelievered. Letter pasted, no reply received.
	Call on 28.05.2009

	359
	105
	AP
	Balkishan
	A-87/5 
	 
	 
	 
	 
	 
	 
	                      17.11.2008
Paste the letter. Call on 03.12.2008
                      07.01.2009
Issue final reminder to the unit to apply for Consent to Establish.
                    25.02.09
Issue final reminder to the unit to apply for Consent to Establish.
	Letter delievered by hand at the premises.
No reply received.
Reminder issued. No reply received.
	Issue final reminder to the unit to apply for Consent to Establish. Call on 28.05.2009

	360
	106
	AP
	Sunil Garg
	A-87/5 
	 
	 
	 
	 
	 
	 
	                      17.11.2008
Paste the letter. Call on 03.12.2008
                     07.01.2009
Issue final reminder to the unit to apply for Consent to Establish.
                     25.02.09
Issue final reminder to the unit to apply for Consent to Establish..
	Letter delievered by hand at the premises.
Reminedr issued. No reply received.
Final reminder issued which was returned back undelievered. Letter pasted, no reply received.
	Call on 28.05.2009

	361
	107
	AP
	Kripa Impex
	A-83/1 
	circle cutting & pressing
	100 pcs/day as per the affidavit
	 
	CTE on 16.09.2008 vide I.D. No. 27350.
	CTO granted on 24.04.2006 & valid upto 05.05.2010 under Green category vide Con no. 14116.
CTO applied on 02.02.2009 under Orange category vide ID no. 28862.
	 
	                      17.11.2008
Refuse consent. Issue notice for closure. Call on 03.12.2008
                     07.01.2009
Call on 25.02.2009
            25.02.09
Ask the unit to submit affidavit that ECS  has been installed with in one month.
	Reply received on 13.04.09 & informed that AR report is enlosed in CTO application.
	Issue Consent to Establish. Call on 28.05.2009

	362
	108
	AP
	Saurabh Steel
	A-23 
	S.S. Steel & circle cutting (without buffing)
	 
	 
	 
	CTO obtained on 05.10.2005 vide consent order no. 13110 (valid upto 27.03.2010) under Green category
	 
	                      17.11.2008
Revoke consent. Issue notice for closure.
Issue notice for closure to new unit namely Jain Steel  for not applying for CTE. Call on 03.12.2008.
                     07.01.2009
Call on 25.02.2009
           25.02.09
Ask the unit to apply fresh for Consent to Establish for the changed activity.
	Letter issued. Reply received on 02.12.2008 f. Unit has informed that:- 
1.M/s P.S. Metal operating at same address at 3rd floor and engaged in buffing activity and already applied for CTE on 18.09.2008 vide ID No. 27405.
2. Unit requesting to revoke the consent of M/s Saurabh Steels.
Letter issued, Reply received on 15.04.09, unit is requesting that unit is doing same buisness for last 5-6 years there is no changed in activity.
	File be submitted administratively.

	363
	109
	AP
	Jain Steel
	A-23 
	 
	 
	 
	 
	 
	 
	                      17.11.2008
Issue notice for closure to new unit namely Jain Steel  for not applying for CTE. Call on 03.12.2008.
                     07.01.2009
Ask the landlord of the premises to submit affidavit stating that there is no unit in the name of M/s Jain Steel 
                        25.02.09
Isuue closure direction in view of landlord affidavit that there is no unit in the name of Jain Steel.
	Letter issued. Reply received on 02.12.2008 from the lanlord of the premises. He informed no unit exists in the name of M/s Jain Steel in the said premises & only following unit exists at said premises:- 
1.M/s P.S. Metal 
2. M/s Saurabh Steels.
Letter issued. Reply received on 13.02.2009 from the landlord. He has submitted an affidavit that there is no unit exist at A-23, WIA, Delhi-52 in the name of M/s Jain Steel.
Closure order issued. Reply received & informed that there is no unit in the name of Jain steel so withdraw the notices.
	Call on 28.05.2009

	364
	110
	AP
	S.R.Steel
	A-20 
	 
	 
	 
	 
	 
	 
	                      17.11.2008
Issue notice for closure. Call on 03.12.2008
                     07.01.2009
Issue final reminder to the unit to apply for Consent to Establish.
                    25.02.09
Issue final reminder to the unit to apply for Consent to Establish.
	Letter issued.
No reply received.
Reminedr issued. No reply received.
	Issue final reminder to the unit to apply for Consent to Establish. Call on 28.05.2009

	365
	111
	AP
	Sorab Steel
	A-38 
	 
	 
	 
	Applied for CTE on 21.05.2008 vide I.D. No. 25791.
	Applied for CTO on 01.09.2008 vide I.D. No. 27150.
	 
	                      17.11.2008
SIT to inspect and report. Call on 07.01.2009
                      07.01.2009
Call on 25.02.2009 with SIT report
           25.02.09
SIT deficeiencies to be rectified & file compliance affidavit within one month
	Letter issued.
No reply received.
	Issue final reminder to the unit for rectification of SIT deficeiencies & file compliance affidavit. Call on 28.05.2009

	366
	112
	AP
	Kamal Udyog
	A-42 
	 
	 
	 
	 
	 
	 
	                      17.11.2008
Issue notice for closure. Call on 03.12.2008
                      07.01.2009
Call on 25.02.2009
           25.02.09
Isuue closure direction in view of landlord affidavit that there is no unit in the name of Kamal Udyog.
	Letter issued. Reply received on 02.12.2008 from the landlord of the premises. He has informed that:-
1. There is no unit exists in the name of M/s Kamal Udyog.
2. The unit exists at the premises is M/s Chander Shaker which has applied for CTE on 25.09.2008 vide ID no. 27563.
Reply received from 15.04.09 from the landlord of the premises stating that no unit exists in the name of Kamal Udyog does not exist at A-42 in WIA.
	Call on 28.05.2009

	367
	113
	AP
	 Chandershekar
	A-42 
	 
	 
	 
	CTE on 25.09.2008 vide ID no. 27563 under Orange category
	 
	 
	                        07.01.2009
Call on 25.02.2009
           25.02.09
Pollution control device to be installed & submit compliance affidavit with in 1 month.
	Letter issued, no reply received.
	Issue final reminder to the unit for installation of pollution control device & to submit compliance affidavit. Call on 28.05.2009

	368
	114
	AP
	Jay Shree Industries
	A-55 
	 
	 
	 
	 
	 
	 
	                      17.11.2008
Paste the letter. Call on 03.12.2008
                     07.01.2009
Issue final reminder to the unit to apply for Consent to Establish.
                   25.02.09
Issue final reminder to the unit to apply for Consent to Establish.
	Letter delivered by hand which is received by Mittal Steel.
No reply received.
Reminedr issued. No reply received.
Final reminder issued which was returned back undelievered.
	Letter be pasted. Call on 28.05.2009

	369
	115
	AP
	Mayank Industries
	A-60 
	 
	 
	 
	 
	 
	 
	                      17.11.2008
Paste the letter. Call on 03.12.2008
                      07.01.2009
Issue final reminder to the unit to apply for Consent to Establish.
                          25.02.09
Issue final reminder to the unit to apply for Consent to Establish.
	Letter pasted on the premises.
No reply received.
Reminedr issued. No reply received.
Final reminder issued which was returned back undelievered. Letter pasted, no reply received.
	Call on 28.05.2009

	370
	116
	AP
	 Nitin Overseas
(Prop. Nitin Jain)
	A-63 
	S.S. Utensils & S.S. Cold Re-rolling (without pickling)
	400 kg/day
	Rs. 1 Lakh submitted under Air Act, 1981 valid upto 06.02.2010.
	 
	Applied for CTO(R) on 23.07.2008 vide I.D. No. 26671.
CTO granted on 26.03.2003 & valid upto 25.07.2005
CTO(R) obtained on 21.09.2006 vide consent order no. 16815 (valid upto 26.07.2008)
	 
	                      17.11.2008
Ask the unit to submit an affidavit for correction of deficiencies observed by SIT during inspection and Bank Guarantee of Rs. 1 lakh under Air Act, 1981 valid upto 06.02.2010. Call on 03.12.2008.
                      07.01.2009
Issue reminder to the unit to install ECS ..
                  25.02.09
Issue reminder to the unit to install ECS .
	Unit has submiited adequacy report on 27.02.2009 along with an affidavit
	Call on 28.05.2009

	371
	118
	AP
	Shyam Steel
	A-78/4 
	 
	 
	 
	 
	 
	 
	                      17.11.2008
Paste the letter. Call on 03.12.2008
                       07.01.2009
Issue final reminder to the unit to apply for Consent to Establish.
                        25.02.09
Issue final reminder to the unit to apply for Consent to Establish.
	Letter delieverd by hand and received by Mr. Parveen at the premises.
No reply received.
Letter issued. No reply received.
Final reminder isued which was returned back undelievered. Letter pasted, no reply received.
	Call on 28.05.2009

	372
	119
	AP
	 Yogesh Kumar
	A-82/2 
	 
	 
	 
	 
	 
	 
	                      17.11.2008
Issue notice for closure. Call on 03.12.2008
                  07.01.2009
Issue final reminder to the unit to apply for Consent to Establish.
               25.02.09
Issue final reminder to the unit to apply for Consent to Establish.
	Letter issued. No reply received.
Letter issued. No reply received.
	Issue final reminder to the unit to apply for Consent to Establish. Call on 28.05.2009

	373
	120
	AP
	Surinder
	A-79/3 
	 
	 
	 
	 
	 
	 
	                      17.11.2008
Issue notice for closure. Call on 03.12.2008
                     07.01.2009
Issue final reminder to the unit to apply for Consent to Establish.
                      25.02.09
Issue final reminder to the unit to apply for Consent to Establish.
	Letter issued. 
Reply received.
	Issue final reminder to the unit to apply for Consent to Establish. Call on 28.05.2009

	374
	121
	AP
	Sanjay Jain
	A-1,GR (Front Side,Top Floor)
	 
	 
	 
	 
	 
	 
	                   07.01.2009
Call on 25.02.2009 with SIT report.               
              25.02.09
Ask the unit to submit Consent to Establish under Orange category and adequacy report.
	SIT report to be discussed.
Unit has submiited a letter on 17.12.2008 and informed that they have applied for CTE (Green) on 10.12.2008 vide ID no. 28335
Unit has applied CTE under Orange category in the name of Jain Steel (Unit-2) on 23.09.2008 vide ID no.27498.
Unit has also submmited the adequacy report of ECS on 01.04.09
	Call on 28.05.2009

	375
	122
	AP
	Mahbir Metal
	A-1,GR (Back Side,Top Floor)
	Buffing
	250 Kg/ day
	 
	CTE applied on 23.09.2008 vide ID No.27500
	 
	 
	                     07.01.2009
Call on 25.02.2009 with SIT report.
         25.02.09
Ask the unit to intall ECS with buffing activity.
Ask the new unit namely Satish Kumar Gupta to apply for Consent to Establish. 
	Letter issued. Reply received on 13.04.2009 & informed that they have ordered the ECS & 4 months time required for completion.
	Call on 28.05.2009 with interim report.

	376
	 
	 
	Satish Gupta
	A-1,GR (Back Side,Top Floor)
	 
	 
	 
	CTE applied on 23.09.2008 vide ID no.27499
	 
	 
	         25.02.09
Ask the new unit namely Satish Kumar Gupta to apply for Consent to Establish. 
	Reply recived on 13.04.09 & informed that CTE applied
	Issue Consent to Establish. Call on 28.05.2009

	377
	123
	AP
	Raju
	A-2, GR
	 
	 
	 
	 
	 
	 
	                     07.01.2009
Call on 25.02.2009 with SIT report.
              25.02.09
Issue notice for closure u/s 31(A) of the Air act to apply for  Consent to Establish and to install ECS.
	Notice for closure issued. Reply received on 13.04.09 from the M/s D.N. Plastic Industries (Owner of premises) & informed that Raju is the tenant in the premises & was engaged in buffing activity but  Raju has closed down the industrial activity in feb. 2009 & left the premises & currently no activity is performed at the premises & before starting any activity it will be intimated to DPCC, all the statement's was given on an affidavit. However DPCC's record shows that D.N. plastic has applied Consent to establish under Green category on 20.04.2009 vide ID no. 29586.
	SIT-I to inspect and report. Call on 28.05.2009

	378
	124
	AP
	Pardeep Kr
	A-3,GR (Back Side,Top Floor)
	 
	 
	 
	CTE applied on 22.12.08 vide ID no. 28452.
	 
	 
	                     07.01.2009
Call on 25.02.2009 with SIT report.
             25.02.09
Ask the unit to  apply for  Consent to Establish and to install ECS.
	Unit has informed on 13.04.09 that they have applied CTE & installation of ECS order is placed, 4weeks time required
	Issue final reminder to apply for Consent to Establish. Call on 28.05.2009

	379
	125
	AP
	Satish Kumar (Tirupati Steel Inds)
	A-17, group 
	Mfg of utensils
	 
	 
	 
	 
	 
	                     07.01.2009
Call on 25.02.2009 with SIT report.
          25.02.09
Ask the unit to submit an affidavit stating that no buffing activity will be carried out and to apply for Consent to Establish.
	Letter issued. No reply received.
	Issue final reminder to submit an affidavit stating that no buffing activity will be carried out and to apply for Consent to Establish. Call on 28.05.2009

	380
	126
	AP
	Kesri Steel
	A-18, group
	 
	 
	 
	 
	 
	 
	                     07.01.2009
Call on 25.02.2009 with SIT report.
           25.02.09
Ask the unit to  apply for  Consent to Establish and to install ECS.
	Letter issued. No reply received.
	Issue final reminder to apply for Consent to Establish. Call on 28.05.2009

	381
	127
	AP
	Naresh Kr
	A-48, Group  
	 
	 
	 
	 
	 
	 
	                     07.01.2009
Call on 25.02.2009 with SIT report.
           25.02.09
Ask the unit to  apply for  Consent to Establish and to install ECS.
	Letter issued. No reply received.
	Issue final reminder to apply for Consent to Establish and to install ECS. Call on 28.05.2009

	382
	156
	AP
	GOEL TRADING CO.
	A-80
	 
	 
	 
	 
	 
	 
	                     07.01.2009
Call on 25.02.2009 with SIT report.
           25.02.09
Shift to Green Committee.
Ask the new unit namely Goel Trading Co. to apply for Consent to Establish and to install ECS.
	Letter issued.Reply received on 15.04.09, Unit has informed that they have applied CTE under Orange category on 17.02.09 vide Id no. 29041.
	Call on 28.05.2009

	383
	128
	AP
	Maha Gauri Steel (Pawan Kumar)
	A-14, Group
	 
	 
	 
	 
	 
	 
	                     07.01.2009
Call on 25.02.2009 with SIT report.
             25.02.09
Issue SCN for closure for not allowing inspection.
	Letter issued. Reply received on 17.4.09, Unit has informed that the unit partner was outside, so terrace was locked. Unit requested to do inspection at any time & forgive for his mistake.
	SIT-I to inspect and report. Call on 28.05.2009

	384
	129
	AP
	P.K Inds ( Attar Sain)
	A-13, group
	 
	 
	 
	 
	 
	 
	                     07.01.2009
Call on 25.02.2009 with SIT report.
          25.02.09
Ask the unit to  apply for  Consent to Establish and to install ECS.
	Letter issued. No reply received.
	Issue final reminder to apply for Consent to Establish and to install ECS. Call on 28.05.2009

	385
	130
	AP
	Tonika Automobiles
	A-5
	 
	 
	 
	 
	 
	 
	                     07.01.2009
Call on 25.02.2009 with SIT report.
           25.02.09
Ask the unit namely Bright Cables to apply for Consent to Establish.
	Letter issued to bright cables & reply received on 21.04.2009. Unit has informed that they have granted CTO(R ) under Orange category vide Consent no. 15878 valid upto 16.06.09 for PVC Wire & Cables.
	Name be changed to M/s Bright Cables. Call on 28.05.2009

	386
	131
	AP
	 Saurabh Jain
	A-23
	 
	 
	 
	 
	 
	 
	                     07.01.2009
Call on 25.02.2009 with SIT report.
             25.02.09
Ask the unit to submit adequacy report and apply for Consent to Establish.
Ask the new unit namely Jain Steel to apply for Consent to Establish.
	Letter issued.Reply received on 15.04.09, unit has informed that they have valid Consent, However DPCC records show that the unit has a valid CTO under Green category valid upto 27.03.2010.
	The case has already been considered at Sl. No 362 and hence remove from the list.

	387
	 
	 
	Jain Steel
	A-23
	 
	 
	 
	 
	 
	 
	                     07.01.2009
Call on 25.02.2009 with SIT report.
             25.02.09
Ask the unit to submit adequacy report and apply for Consent to Establish.
Ask the new unit namely Jain Steel to apply for Consent to Establish.
	Letter issued. No reply received.
	The case has already been considered at Sl. No 363 and hence remove from the list.

	388
	132
	AP
	Gaurav Steel (Ashok Kumar)
	Shed-38
	 
	 
	 
	 
	 
	 
	                     07.01.2009
Call on 25.02.2009 with SIT report.
            25.02.09
Ask the unit to  apply for  Consent to Establish and to install ECS.
	Letter issued. No reply received.
	Issue final reminder to apply for Consent to Establish and to install ECS. Call on 28.05.2009

	389
	133
	AP
	Gupta Steel
	B-10/6-7
	 
	 
	CTE applied on 14.08.08 vide ID no. 26970
	CTO applied on 30.12.2008 vide ID no. 28537
	 
	 
	                     07.01.2009
Call on 25.02.2009 with SIT report.
           25.02.09
Ask the new unit namely Sohan Trading Co. to  submit adequacy report and apply for Consent to Establish.
	Letter issued. Reply received on 13.04.2009 & informed that they have applied for AR & will be submitted as & when available.
	Time allowed till 28.05.2009. Call on 28.05.2009

	390
	134
	AP
	Satya Trading Co. (Satvir Aggarwal)
	C-12/2
	 
	 
	 
	 
	 
	 
	                     07.01.2009
Call on 25.02.2009 with SIT report.
            25.02.09
Ask the unit to  apply for  Consent to Establish and to install ECS.
	Letter issued. Reply received on 13.04.2009. Unit has informed that they haave valid CTE under Green category valid upto 19.11.2009 & CTO ( R) valid upto 28.07.2017 for S.S. circle cutting. Copy of consent enclosed..
	Issue SCN for revocation of consent under green category. Call on 28.05.2009.

	391
	135
	AP
	Arun Kumar
	C-55
	 
	 
	 
	 
	 
	 
	                     07.01.2009
Call on 25.02.2009 with SIT report.
           25.02.09
Ask the unit to  apply for  Consent to Establish and to install ECS.
	Letter was returned back undelievered. Letter pasted, no reply received.
However unit has applied CTE under green category on 20.4.09 vide ID no. 29602.
	Issue SCN for revocation of consent under green category. Call on 28.05.2009.

	392
	136
	AP
	Mintoo
	Shed-85
	 
	 
	 
	 
	 
	 
	                     07.01.2009
Call on 25.02.2009 with SIT report.
            25.02.09
Ask the unit namely Bhola to  apply for  Consent to Establish.
	Letter was returned back undelievered. Letter pasted, no reply received.
	Call on 28.05.2009

	393
	137
	AP
	Jai Naryan
	Shed-51
	 
	 
	 
	 
	 
	 
	                     07.01.2009
Call on 25.02.2009 with SIT report.
           25.02.09
Issue notice for closure. 
	Letter issued. No reply received.`
	SIT - I to inspect and report. Call on 28.05.2009

	394
	138
	AP
	Rakesh Jain
	A-42 (Top Floor)
	 
	 
	 
	 
	 
	 
	                     07.01.2009
Call on 25.02.2009 with SIT report.
            25.02.09
Ask the four units to apply for Consent to Establish and M/s Kamal Jain to install ECS also.
	Letter issued. No reply received.`
	Issue final reminder to four units to apply for Consent to Establish and M/s Kamal Jain to install ECS also. Call on 28.05.2009

	395
	139
	AP
	 Sunbean Electricals
	B-68/4
	Plastic Products viz PVC compound & non-adhesive tapes
	 
	 
	 
	CTO granted on 21.04.04valid upto 24.04.2007
	 
	                   07.01.2009
SIT inspection found three new units. (i) Ask M/s Sunbeam Electrical Industries to correct the deficiencies and submit CTE application. (ii) Ask Anjali Steel to apply for CTE and to correct the deficiencies observed by the SIT (iii) Ask Sh. Mahavir Prasad to apply for CTE and to correct the deficiencies observed by the SIT 
                   25.02.09
Issue Reminder to unit to correct the deficiencies intimated earlier and submit CTE application
	Letter issued. Reply received on 15.04.09, Unit has informed that they require 15 days time to submit the reply of the letter as the properiter has been hospitalized since last 2 months.
	Call on 28.05.2009 with interim report.

	396
	140
	AP
	 Anjali Steel
	B-68/4
	Mfg. of SS utensils with buffing
	 
	 
	CTE applied on 10.10.2008vide Id no. 27736 under Orange category
	 
	 
	                   07.01.2009
SIT inspection found three new units. (i) Ask M/s Sunbeam Electrical Industries to correct the deficiencies and submit CTE application. (ii) Ask Anjali Steel to apply for CTE and to correct the deficiencies observed by the SIT (iii) Ask Sh. Mahavir Prasad to apply for CTE and to correct the deficiencies observed by the SIT 
                25.02.09
Ask the unit to file Adequacy Report & affidavit for installation of ECS.
	Letter issued. No reply received.
	Issue final reminder to the unit to file Adequacy Report & affidavit for installation of ECS. Call on 28.05.2009

	397
	141
	AP
	 Mahavir Prasad
	B-68/4
	Mfg. of SS utensils
	170 kg/day
	 
	CTE applied on 18.02.2009 vide Id no. 29.056 under Orange category
	 
	 
	                   07.01.2009
SIT inspection found three new units. (i) Ask M/s Sunbeam Electrical Industries to correct the deficiencies and submit CTE application. (ii) Ask Anjali Steel to apply for CTE and to correct the deficiencies observed by the SIT (iii) Ask Sh. Mahavir Prasad to apply for CTE and to correct the deficiencies observed by the SIT 
                25.02.09
Isuue reminder to the unit for correction of SIT deficiencies
	Letter issued. CTE applied
Reply received on 27.02.2009 & informed that order of ECS has been placed & required 2 months time for installation.
Reminder issued which was returned back undelievered. Letter pasted, no reply received.
	Time allowed till 28.05.2009. Call on 28.05.2009

	398
	142
	AP
	Sh. Sachdeva (V.K. Industries)
	Shed no. 84, DSIDC, top floor
	Mfg. of plastic frames by injection moulding & buffing of S.S. utensils
	 
	 
	CTE applied on 15.04.09 vide id no. 29525
	 
	 
	                      07.01.2009
Call on 25.02.2009 with SIT report.
          25.02.09
Issue notice for closure u/s 31(A) of the Air Act, 1981.
	Letter issued, no reply received. Unit has applied CTE on 15.04.09 vide ID no. 29625 in the name of V.K. Industries
	Ask the unit to install ECS and submit adequacy report from empanelled consultant of DPCC. Call on 28.05.2009

	399
	143
	AP
	Sh. Anand
	Shed no. 88, DSIDC, top floor
	 
	 
	 
	 
	 
	 
	                      07.01.2009
Call on 25.02.2009 with SIT report.
           25.02.09
Ask the unit to apply for Consent to Esablish and to install ECS.
	Letter issued, no reply received.
	Issue final reminder to apply for Consent to Establish and to install ECS. Call on 28.05.2009

	400
	144
	AP
	Sh. Vimal Pangasa(V.P. Hoisery and genral mills
	Shed no. 91, DSIDC, top floor
	Mfg of plastis moulding item and butting on utensil
	 
	CTE application submitted on 13.04.09 vide Id no-29516
	 
	 
	 
	                      07.01.2009
Call on 25.02.2009 with SIT report.
           25.02.09
Issue notice for closure.
	Letter issued, CTE applied on 13.04.09, however no reply received.
	Ask the unit to install ECS and submit adequacy report from empanelled consultant of DPCC. Call on 28.05.2009

	401
	145
	AP
	Sh. R.P. Singh (P K Enterprises)
	Shed no. 99, DSIDC, back mayani, top floor
	Mfg of ss utensil with buffing
	 
	CTE application submitted on 13.04.09 vide Id no-29515
	 
	 
	 
	                      07.01.2009
Call on 25.02.2009 with SIT report.
           25.02.09
Issue SCN for closure
	Letter issued, CTE applied on 13.04.09, however no reply received.
	Ask the unit to install ECS and submit adequacy report from empanelled consultant of DPCC. Call on 28.05.2009

	402
	146
	AP
	Sh. Sunil Gupta (Fatman)
	Shed no. 102-A, back ground floor & 1st floor
	 
	 
	 
	 
	 
	 
	                      07.01.2009
Call on 25.02.2009 with SIT report.
            25.02.09
Issue SCN for closure to Transport Co..
	Letter issued, Reply received on 15.4.09 & informed that M/s Sunil gupta has applied for CTE,however, DPCC's record shows that unit has applied CTE on 23.02.2009 vide ID no. 29084
	Ask the unit to install ECS and submit adequacy report from empanelled consultant of DPCC. Call on 28.05.2009

	403
	147
	AP
	R.S. Traders (Sh. Sanjay)
	C-54, Top floor
	 
	 
	 
	 
	 
	 
	                      07.01.2009
Call on 25.02.2009 with SIT report.
             25.02.09
Ask the unit to apply for Consent to Esablish and to install ECS.
	Letter issued, no reply received.
	Issue final reminder to apply for Consent to Establish and to install ECS. Call on 28.05.2009

	404
	148
	AP
	Ramesh Engg.Works (Sh. Suresh Boriwala)
	C-58, Top floor
	Mfg of  ss utensil with buffing
	 
	CTE application submitted on 13.04.09 vide Id no-29512
	 
	 
	 
	                      07.01.2009
Call on 25.02.2009 with SIT report.
           25.02.09
Ask the unit to apply for Consent to Esablish and to install ECS.
	Letter issued, CTE applied on 13.04.09, however no reply received.
	Ask the unit to install ECS and submit adequacy report from empanelled consultant of DPCC. Call on 28.05.2009

	405
	149
	AP
	Sh. Kiran Pal Jain (Imped Sainitation)
	C-58, Top floor
	Mfg of steel kitchen  sink & saintary work with buffing
	 
	CTE application submitted  on 15-04-09 vide Id no-29527
	 
	 
	 
	                      07.01.2009
Call on 25.02.2009 with SIT report.
         25.02.09
Issue notice for closure. 
	Letter issued, CTE applied on 13.04.09, however no reply received.
	Ask the unit to install ECS and submit adequacy report from empanelled consultant of DPCC. Call on 28.05.2009

	406
	150
	AP
	Sh. J.K. Bansal
	C-58, Top floor
	 
	 
	 
	 
	 
	 
	                      07.01.2009
Call on 25.02.2009 with SIT report.
           25.02.09
Ask the unit to apply for Consent to Esablish and to install ECS.
	Letter issued, no reply received.
	Issue final reminder to apply for Consent to Establish and to install ECS. Call on 28.05.2009

	407
	151
	AP
	Mukesh Kumar
	 B-28
	 
	 
	 
	 
	 
	 
	25.02.09                                               
  Call on 15.04.2009
	A complain along with a list was received from WIA regarding illegal units running in Wazirpur. File was submitted administratively & after approval from chairman, DPCC, Notice for CTE issued, as this units not running in WIA list. Call on 25.02.2009.
Notice was returned back undelievered.
	Call on 28.05.2009

	408
	152
	AP
	Naresh Kumar
	 B-58/2
	 
	 
	 
	 
	 
	 
	               25.02.09                                              
   Call on 15.04.2009
	A complain along with a list was received from WIA regarding illegal units running in Wazirpur. File was submitted administratively & after approval from chairman, DPCC, Notice for CTE issued, as this units not running in WIA list. Call on 25.02.2009.
Notice was returned back undelievered.
	Call on 28.05.2009

	409
	153
	AP
	Dhirender
	Shed-89
	 
	 
	 
	 
	 
	 
	              25.02.09                                                 
Call on 15.04.2009
	A complain along with a list was received from WIA regarding illegal units running in Wazirpur. File was submitted administratively & after approval from chairman, DPCC, Notice for CTE issued, as this units not running in WIA list. Call on 25.02.2009.
Reply of notice was submitted by the landlord of the premises & informed that there is no unit in the name of Dhirender at the said premises.
	SIT-I to inspect and report. Call on 28.05.2009

	410
	154
	AP
	Ajanta Offset
	B-95
	 
	 
	CTE applied on 12.03.209 vide ID no. 29227
	Unit has applied for CTO under Orange category on 28.12.2004 vide ID no. 12348 for the activity of Offset Printing.
	 
	 
	                25.02.09                                                
 Call on 15.04.2009
	A complain along with a list was received from WIA regarding illegal units running in Wazirpur. File was submitted administratively & after approval from chairman, DPCC, Notice for CTE issued, as this units not running in WIA list. Call on 25.02.2009.
CTE applied
	Ask the unit to apply for authorization under HWM Rules. Call on 28.05.2009

	411
	155
	AP
	Vardhaman Steel, 
	A-1, Group
	 
	 
	 
	 
	 
	 
	         25.02.09                                              
   Call on 15.04.2009
	A complain along with a list was received from WIA regarding illegal units running in Wazirpur. File was submitted administratively & after approval from chairman, DPCC, Notice for CTE issued, as this units not running in WIA list. Call on 25.02.2009.
Letter received from Mahabir Metal (Unit-2) & informed that there is no unit in the name of Vardhman Steel.
	Remove the name of M/s Vardhaman Steel as informed by M/s Mahabir Metal (Unit-2).
Ask the unit M/s Mahabir Metal (Unit-2) to submit an affidavit stating that no unit in the name of M/s Vardhaman Steel exists in the premises and location/layout plan of the premises. Call on 28.05.2009  

	412
	156
	APb
	RATTAN SINGH & SONS
	C- 60/2 (Backside portion)
	 
	 
	 
	 
	 
	 
	         07.01.2009
Ask the unit namely M/s Rattan Singh & Sons to correct the deficiencies observed during the inspection by SIT and submit an affidavit in this regard. Also ask the unit to apply for Consent to Establish.
        25.02.09
Paste letter on the premises.
	Letter issued to M/s Rattan Singh & Sons.
Letter returrned back undelievered. Letter issued, no reply received.
	Call on 28.05.2009

	413
	157
	AP
	Kamal Jain 
	A-42 (Top Floor)
	utensils manufacturing w/o buffing
	 
	 
	CTE under green category on 15.04.09 29420 in the name of Vardhman Udyog.
	 
	 
	            25.02.09
Ask the four units to apply for Consent to Establish and M/s Kamal Jain to install ECS also.
	Letter issued. Reply received on 15.4.09, Unit has informed that the buffing activity owned by M/s Chander Shaker who already applied under Orange category. Kamal jain is the proprieter of M/s Vardhman Industry doing buisness of stainless steel circle cutting and pressing on job work basis, so kamal jain applying for CTE under green category. However, DPCC's record show that unit has applied for CTE under green category on 15.04.09 29420 in the name of Vardhman Udyog.
	Ask the unit to submit an affidavit to the effect that they are not doing buffing activity and location plan of the premises. Call on 28.05.2009

	414
	158
	AP
	Jana Plastic
	A-42 (1st Floor)
	 
	 
	 
	 
	 
	 
	            25.02.09
Ask the four units to apply for Consent to Establish and M/s Kamal Jain to install ECS also.
	Letter issued which was retuned back undelievered. Letter pasted, no reply received.
	Call on 28.05.2009

	415
	159
	AP
	Deepali Enterprises
	A-42 (ground Floor)
	 
	 
	 
	 
	 
	 
	            25.02.09
Ask the four units to apply for Consent to Establish and M/s Kamal Jain to install ECS also.
	Letter issued. No reply received.`
	Issue final reminder to the unit to apply for Consent to Establish. 
Issue final reminder to M/s Kamal Jain to apply for Consent to Establish and to install ECS. Call on 28.05.2009

	416
	160
	AP
	BM Industries
	A-42 (basement)
	 
	 
	 
	 
	 
	 
	            25.02.09
Ask the four units to apply for Consent to Establish and M/s Kamal Jain to install ECS also.
	Letter issued which was retuned back undelievered. Letter pasted, no reply received.
	Call on 28.05.2009

	417
	161
	AP
	Sh. Deepak
	A-126, 2nd floor
	 
	 
	 
	 
	 
	 
	                      07.01.2009
Call on 25.02.2009
Ask the new three units namely (i) Friends Pressing Work (ii) Subhash Gupta and (iii) Deepak to apply for Consent to Establish.
            25.02.09
Issue reminder to all three units. 
	Letter returned back undelivered. Letter pasted, no reply received.
	Call on 28.05.2009

	418
	162
	AP
	Friends pressing works
	A-126, 
	 
	 
	 
	 
	 
	 
	                      07.01.2009
Call on 25.02.2009
Ask the new three units namely (i) Friends Pressing Work (ii) Subhash Gupta and (iii) Deepak to apply for Consent to Establish.
            25.02.09
Issue reminder to all three units. 
	Letter issued. No reply received
	Issue final reminder to apply for Consent to Establish. Call on 28.05.2009

	419
	163
	AP
	Subash Gupta
	A-126, 
	 
	 
	 
	 
	 
	 
	                      07.01.2009
Call on 25.02.2009
Ask the new three units namely (i) Friends Pressing Work (ii) Subhash Gupta and (iii) Deepak to apply for Consent to Establish.
            25.02.09
Issue reminder to all three units. 
	Letter issued. No reply received
	Issue final reminder to apply for Consent to Establish. Call on 28.05.2009

	420
	167
	AP
	Vinayak International
	A-115
	Mfg. of S.S. utensils with buffing & polishing
	4000pc/day
	 
	CTE granted on 25.11.2008 valid upto 23.11.2009 vide Con no. 19228
	CTO applied on 11.11.2008 vide ID no. 28060
	 
	05.11.2008
Issue Consent to Establish
	CTE issued
CTO applied.
	Issue consent to operate. Call on 28.05.2009

	421
	 
	AP
	M/s Graphic inds
	C-8/A, WIA, Delhi-52
	 
	 
	 
	 
	CTO issued on 07.10.2003 valid upto 01.08.2005.
During the last inspection by SIT, the unit was found non operational.
The unit has submitted a letter that it has stopped its operations.
	 
	            21.01.2009
SIT to inspect and report. Call on 25.02.2009
              25.02.2009
Ask the unit to remove all the equipments which are not being used and to connect its outlet to the conveyance system of CETP and provide information for maintaining  the hazardous waste as per HWM Rules. Call on 02.04.2009
                 02.04.2009
Bank Guarantee may be returned. Call on 15.04.2009
	As per the decision of CMC on 02.04.09 file sent to te account section of DPCC & same is yet to be received.
	Call on 28.05.2009


