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DELHI POLLUTION CONTROL COM{MITT’EE‘

i DEPARTMENT OF ENVIRONMENT, (GOVT. OF NCT. OF DELHI)
o L 4TH FLOOR, ISBT BUILDING, KASHMERE GATE, DELHI-6
g 1y ‘ o S _visit us at : http://dpce.delhigovtnicin
F. No. DPCC/WMC-II/ M-2 // Y3 Dated: 02 /11 /19

Subjeet: - Minutes of 22" meeting of the Consent Committee constituted for deciding the
Consent and Authorization held on 09.10.2012.

Please find enclosed herewith Minutes of the 22" meeting of the Consent Committee
constituted for deciding the Consent and Authorization held on 09.10.2012 Wt CETPs, STPs;

WTPs, MSW projects and Power Plants etc for cases of Waste Managememg()éﬂ! 1.
o
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L Chawla)
Sr. Env. Engineer
(WMC-IT)

P.S to Chairman, DPCC- for kind information to Chairman please.
Member Secretary, DPCC.

Dr. Anil Kumar, Member (Env. Deptt)

Prof. S K.Gupta, Member (Acdm. Institution)

Dr. A K.Neema, Member (Acdm. Institution)

Addl. Director, DPCC

SEE, WMC-I,DPCC

EEs, WMC-IL, DPCC I
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Copy to:

\/. SEE, IT CELIZDPCC- with request to upload the minutes on the website of DPCC.
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[image: image2.jpg]Minutes of the 22" Meeting of Consent Committee (Orange)
w.r.t. cases of WMC-II held on 09.10.2012.

Agenda item no. 1 contains total -10 cases of Consent to- Iistablish (9 cases of
Orange category & 1 case of the Green category). Agenda item no. 2 contains 20
cases of Consent to Operate. While putting the entire information of the old
applications, it was observed that seme applications could not be decided in
advertently & left and validity of consent fee period had also been expired
therefore, these applications have been made infructous. Three C s has also
submitted application without consent fee therefore these 3 applications are not
valid therefore the same have been refused. Further, CTE were filed by three
CETPs in 2002 when they had to come up but the same could not be installed &
established in view of the EPCA directions therefore, the application of these 3
CI¥1
It was also decided to direct the Socicties to install online monitoring system,
providing facility of video conferencing like SKYPE, installing CCTVs with
adequate no of Cameras to be linked with DPCC website within 30 days failing
which DPCC will take necessary action in this regard and cost incurred shall be
recovered from the CETP Societics.

It was also discussed during the meeting that CI{TPs are getting flow much less
compare to their installed capacitics. Therefore, it was decided to ask CMC to
ensure that all the units of industrial arcas shall be connected with conveyances/
sewerage system of the arca-within'3 months. Further, a column shall be added in
the inspection report with regard to the status of connection to the conveyances/
sewerage system.

s are also infructous.

In casc of STPs it was decided to seck the compliance of Show Cause Notices
issued & to ask the DJB to install online monitoring system, facility of video
conferencing like SKYPIE, CCTV with adequate no of cameras to be linked with
DPCC website within 30 days & to expedite the matter to appoint a nodal officer
for providing the operational status of STPs on daily basis in the specified format
to DPCC.

List of members who attended the meeting is enclosed as Annexure-I, and
decisions in individual cases are enclosed herewith as Annexure-11.
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(ORANGE) W.R.T. CASES OF WMC-TEHELD ON 09.10.2012

AGENDA 1 (CONSENT TO ESTABLISII-PENDING):

EW DELHI-110037

1. 23 MLD STP AT KAPASHERA VILLAGE
Consent to Establish granted.

2. EAST DELHI WASTE PROCESSING COMPANY PVT.LTD, GHAZIPUR.

Extension of Consent to Establish granted.

3. M/S GAIL (INDIA) LTD. - Landfill Gas recovery & its conversion to CNG at
Ghazipur.
Deferred till the decision received from CPCB.

4. I’RACA']‘I POWER CORPORATION LTD. BAMNAULI

Consent to Establish is refused.

5. BADARPUR THERMAL POWER STAGE 11l

Consent to Establish be made Infractuous.

6. MOUAN COOPRATIVE CETP

Consent to Establish be made infructuous.

7. OKHLA INDUSTRIAL ESTATE CETP 12 MLD

Consent to Establish be made infructuous.

8. NAJAFGARH CETP (9.6 MLD)

Consent to Establish be made infructuous.

9. NARAINA CETP (21.6 MLD)

Consent to Establish granted. X

10. NATURE & WASTE MANAGEMENT INDIA PV,

Consent to Establish under Gre :n category be wade infractuous

AGENDA 2 (CONSENT TO OPERATE- PENGING):

1. DELITI FOOD PROCESSING COMPLEX (RENDERING) OF MCD AT

GHAZIPUR

Consent to operate (renewal) granted. Subsequently inspection.

2. DELHI FOGD PROCESSING COMPLEX (MEAT) MCD GHAZIPUR

Consent to operate (renewal) granted. Subsequently inspection.
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3. KONDLI PH-1, & A

Issue letter for seeking compliance of Show Cause Notice issued. for deficiencies

4. KONDLI STP PH-1I

[ssue letter for seeking compliance of Show Cause Notice issued for deficiencies.

5. RITHALA STP PH-I

[ssue letter for seeking compliance of Show Cause Notice issued for deficiencies.

6. RAJGHAT THERMAL POWER STATION (LP. POWER GENERATION
CO. 1.TD)
Call the Managing Director of the plant for personal hearing before Chairman.
DPCE.
¥
}
7. CORONATION PILLAR STP

Issue letter for seeking compliance of Show Cause Notice issued for deficiencies.

§. IL&FS ENVIRONMENTAL INFRASTRUCTURE & SERVICES LIMITED,
MCD COMPOST PLANT, OKHLA TANK, MATHURA ROAD
Issue Show Cause Notice for the deficiencies. Call the Managing Director of the
plant for personal hearing before Chairman., DPCE.

9. TIMARPUR-OKHLA WASTE MANAGEMENT COMPANY PVT.LTD, OLD
NDMC COMPOST PLANT, BENHIND CRRI, MAUTHTURA ROAD.

Consent to operate under Air & Water Act & authorization under MSW Rules

! extended for a period of Six months. Ask the unit to submit the complete
compliance report within 2 months. Compliance report received from unit with
respect to monitoring reports and DPCC lab monitoring reports shall be sent to
CPCB for finalisation of standards & other conditions in view of CPCB report.
Inspection be conducted.

10. DELIII MUNICIPAL SOLID WASTE SOLUTIONS LTD, (FOR RDF,
COMPOST & SANITARTY LANDFILL SITE AT NARELA BAWANA
ROAD), MCD WORK SHOP, NEAR POLICE STATION, DELHI-09

Inspection be conducted.

3

11. M/S SPIRAL SERVICES, APM.C COMPOST PLANT SITE. VILLAGE
TIKRI KIIURD, GT KARNAL ROAD

Consent refused.

12. IL&FS WASTE MANAGEMENT AND URBAN SERVICES LIMITED,
CONSTRUCTION & DEMOLITION WASTE, GATE NO. 1, HANUMAN
MANDIR ROAD NEAR MCD COLONY, JAHANGIR PURI, DELIII-33.

Consent granted. Subsequently, inspection be conducted.

13. NARAINA CETP (21.6 MLD)

Consent to operate refused. Issue Show Cause Notice u/s 33 (A) of Water Act

and ws S of EP Act for deficiencies. §
BN ﬁ \(‘
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Consent to operate refused. Issue Show Cause Notice w/s 33 (A) of Water Act for
deficiencies.
15. OKHLA INDUSTRIAL AREA CETP (24 MGD)

Consent application dated 13.02.07 is Infractuous & application dated
26.05.2012 is refused. Issue Show Cause Notice u/s 33 (A) of Water Act and u/s

5 of EP Act for deficiencies.

16. NARELA CETP (22 MLD)

Consent application dated 03.03.2006 Infractuous. Issue Show Cause Notice u/s
33 (A) of Water Act for deficiencies.

17. RITHALA STP PU-II
Renewal of Consent to Operate be made infructuous.
18. PAPPANKALA STP
Renewal of Consent to Operate be made infructuous.
19. 1.P. GAS TURBINE POWER STATION
Renewal of Consent to Operate be made infructuous.
20. LP.GAS TURBINE POWER STATION (L.P. POWER GENERATION CO.
LTD.) i

Renewal of Consent to Operate be made infructuous.

AGENDA 3 (WASTE TO ENERGY-ATR):

DELHI MUNICIPAL SOLID WASTE SOLUTIONS LTD, (FOR WASTE TO
ENERGY PPLANT AT NARELA BAWANA ROAD), MCD WORK SHOP,
NEAR POLICE STATION, DELII-09

Consent to establish already issued. No action

AGENDA 4 (CETPs —ATR):
1. WAZIRPUR INDL AREA CETP ( 24 ML.D)

Issue Show Cause Notice u/s 33 (A) of Water Act for deficiencies.

2. SMA INDL AREA CETP ( 12 MLD)

Issue Show Cause Notice u/s 33 (A) of Water Act for deficiencies.

IUPRTAS SR

3. MANGOLPURI CETP (2.4 MLD)

Issue Show Cause Notice u/s 33 (A) of Water Act for deficiencies.

4. DSIDC NANGLOI & UDYOG NAGAR INDL AREA CETP ( 12 MLD)

Issue Show Cause Notice u/s 33 (A) of Water Act for deficiencies.

o

MAYAPURI CETP (12 MLD)

Issue Show Cause Notice w/s 33 (A) of Water Act and u/s 5 of EP Act for
deficiencies.

6. JUILMIL & FRIENDS COLONY INDL AREA CETP ( 16.8 MLD)

Issue Show Cause Notice u/s 33 (A) of Water Act for deficiencies.

o 7 i A A
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Issue Show Cause Notice u/s 33 (A) of Water Act for deficiencies

LAWRENCE ROAD CETP (12 MLD)

Issue Show Cause Notice u/s 33 (A) of Water Act for deficiencies.

GTK ROAD INDL AREA CETP (6 MLD)
Issue Show Cause Notice u/s 33 (A) of Water Act for deficiencies.

10. ANAND PARBAT CETP (24 MLD)

Expedite the study awarded to IIT with respect to feasibility study of 5 CETPs.

STPs ~ATR):

Seek the,compliatice of Show Cause Notices issued. Also ask the DJB to install
online monitoring system, facility of video conferencing like SKYPE CCLY
with adequate no of cameras to be linked with DPCC website within 30 days.
expedite the matter to appoint a nodal officer for providing the operational status
of STPs on daily basis in specified format of DPCC.

AGENDA 6- ( CETPs —ATR):

Consent already issued to all 7 water treatment plants. No action.

AGENDA 7- (POWER PLANTS —ATR):

7

1000 MW NOMINAL CAPACITY GAS BASED COMBINED CYCLE POWER
PROJECT, AT BAWANA, DELHI.

Ask the unit to submit adequacy report of ETP within 1 month. Inspection also
be conducted

PRAGATI POWER PLANT, PRAGATI POWER CORPORATION LTD RING
ROAD, L.P ESTATE, DELHI

No action

I.P. GAS TURBINE POWER STATION (LP. POWER GENERATION CO.
LTD.), LP. ESTATE, RING ROAD, DELIII.

Issue letter for deficiencies.

NORTH DELHI POWER LTD., (108 MW NATURAL GAS BASED COMBINED
CYCLE POWER PLANT). CENPEID, SECTOR-11, ROHINI, DELHI.

Ask the unit to submit test reports and adequacy report of treatment process from
empanelled agencies of DPCC, within 1 month. Change of name of the unit is
allowed.

BADARPUR THERMAL POWER STAGE I1I, BADARPUR.

Issue letter for compliance of norms of 50 mg/Nm3.

e i
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1. M/s NATURE & WASTE MANAGEMNT [NDiA PVT. LD, COMPOST PLANT,

BHALSWA SITE, DELHI-33

Issue Show Cause Notice for deficiencies.

2. SETTINGUP OF WHOLESALE FLOWER MARKET AT IFC, GHAZIPUR,
DELIL AGRICULTURAL MARKETING BOARD, DELHI

Ask the unit to apply afresh for extension of consent to establish along with

requisite fee & documents.

3. MODERN POULTRY & EGG MARKET AT GHAZIPUR, DELHI
AGRI(JUIJI‘URAL MARKETING BOARD, DELHI
Considering the action pl ubmitted by the unit, direction u/s 33 (A) of Water
Act is temporarily revoked for period of six months.

AGENDA 9- (FOR AUTHORISATION O NLY): «

1. DEVELOPMENT OF ENGINEERED LANDFILL SITE AT JAITPUR/TAJPUR.
Application of authorization under MSW Rules Infractuous.
)
2. SANITARY LANDFILL SITE QF‘MCD AT BHALSWA, DELHIL

Application of authorization under MSW Rules refused as the landfill site is not
complying with the norms under MSW Rules.

3. SANITARY LANDFILL SITE OF MCD AT GHAZIPUR, DELHIL

Ag])lication of authorization under MSW Rules refused as the landfill site is not
with the norms under MSW Rules.

4. $ANITARY LANDFILL SITE OF MCD AT OKHLA, DELHIL
! of authorization under MSW Rules refused as the land® /t!ﬂ/
complying with the norms under MSW Rules. i
P

5. WIS HI-TECK WASTE SOLUTIONS PV LTP KA INDUSTRIAL

AREA- AUTHORISATION UNDER MW * .8 FOR COLLECTION,
RANSPORATION & TEMPORARY ST+ OF AAZARDOUS WASTE
DPCC has made hard efforts in the iwst - - Lars « develop a Treatment, Storage
& Disposal Facility (TSDF) for Hazar Waste in Delhi, on sharing basis with
nearby States and alsc for Temp” wy Storage Facility of HW for Delhi at
Wazirpur through DSIIDC. Apd HPCC will have to wait some more time before
the issue of TSDF is sorted out amicably. In nut shell the efforts for developing
the TSDF have not given the itive results till date.
Establishing such kind Of storage facility will enable the industrial units to
remove their hazardous waste from their premises fot stotage in an ettvitonment
fiendly il the proper treatment storage and disposal facility is identified in
hi or outside Delhi. In fact this kind of stop gap arrangement will work as a
st for safe handling and true reporting of hdzatdous waste genetation by
{ndividual industrial units. At present in absence of TSDF, the hazardous waste
generating units are likely to hide their actual generation figutes for the sake of

 illegal Jumping. The\so kind of storage facilities may further be encouraged to
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go for an agreement with any existing TSDF (Even out side Delhi) for final
disposal of the hazardous waste collected from industrial units of Delhi
Department of Environment. GNCTD is also making efforts to tie up with the
TSDF facility in the nearby States.

However, no specific procedure has been specified for a “Temporary Storage
Site for Hazardous Waste” under the HW(M,H & TB)Rules 2008. The proposed
site will only be temporary storage and will be a step further towards compliance
of rule. 18(b) till full-fledged TSDF site is identified, the case is treated distinctly
from TSDF.

Considering the facts, issue authorization under HWM Rules to the unit for a
period of one year from the date of start of operation of the facility for collection,
transportation & temporary storage of Hazardous waste at the site. The unit shall
make efforts to make agreement with existing TSDF for final disposal of the
hazardous waste collected from industrial units of Delhi.

Meeting ended with thanks to the Chair.

= p"p W L

M.S. Director AK. Nema AD  ~7 SEE  ‘BFs
DPCC  Env. Deptt. Member (Acd. Inst) (WMC) WMC-II Cell





[image: image9.jpg]Attendance Sheet for the 22" Meeting of the Committee Constituted vide Office
Order Dated 06.03.2012 & headed by Chairman, DPCC, for deciding the Cases/
Applications under Orange Category of Consent under the Air & Water Acts and
Authorization under Hazardous Waste Rules/Municipal Solid Waste Rules,

held in the conference room of Chairman, DPCC at Delhi Secretariat at 4 PM on
09.10.2012.

S. No. Name Designation & Deptt. Signature

] 1. Sh. Sanjiv Kumar Chairman, DPCC In Chair |

2. Sh. Sandeep Mishra Member Secretary, DPCC .

o)

Dr. A.K. Nema Associate Professor, IIT Delhi %/—

4. | Sh. B.Kumar ‘Addl. Director, DPCC H‘ ;
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