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= DELHI POLLUTION CONTROL COMMITTEE
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Subject:- Minutes of the 15% meeting of the Commitice Constituted for
deciding the Consent under the Air and Water Acts, for MSWM
Cell held ou 19" Jan, 2010.

Please find enclosed herewith e Minutes of the 15" meeting of the
Commitiee constituted for deciding the Consent under the Air and Water Acts, for
CETPs, STPs, W1Ps, MSW Projects & Power Planis cases held on 19 Jan, 2010,

Ve

(B. Kumar)
Sr. Env. Engineer
MSWM Cell

PS to Chairman, DPCC- for kind information of Chairman please.
Member Secretary, DPCC.

. Piof§. K. Gupta, Member (Acdm Instiution)

Dr. Anil Kumar, Member (Env. Dep)

MSWM Cell, DPCC: .

AEEs, MSWM Cell, DPCC:

Copy to:-
1. Incharge, Computer Cell, DPCC-S0ft copy of minutes is also enclosed for

placing the aforementioried minutes of the. commitiee:on the. Website of
DRCC
/

/
v (B Kuwa)
o\ Bk Kot
MSWM Cell
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fes of the 15% meeing of the CMC (MSW) held on 19.01.2010 i the
Conference Room of Chairmian, DPCC.

The following officers, utended the meeting on 19" Jan, 2010.
1. Sh. Dharmendra, Chairman, DPCC
2. Dr. AK. Ambasht, Member Secretury, DPCC
3. Prof 8. K. Gupta, Member (Acdm Instfution)
4. Dr. Anil Kumar, Member (Eny. Deptt)
5. Sh. B, Kumar, SEE, DPCC
6. EE (MSWM Cell)
7. AEEs (MSWM Cell)

The 15 mecting of the Cominitiee
under the Air and Water Acts, for CE
Plants cases was held on 19 fan,
respect 10 following agendas o

nstituted for deciding the Consent
Ps, WIPs, MSW Projects & Power.
010 ard decisions taken in the meeting with
e recorded in the encloscd sheets:

Agenda. 1- Constuction and demmolition (C & D) Waste processing ind recyeling
unit at Jahangirpuri, Delhi.

Agenda 2: Follow up action on the pending issues of the Local Aréa
Environment Commitec:

) Matter regarding effluent goneratedin Patprgans Industral Arc,
) Matter regarding conveyance system of WIA,

© Removal of encroachment by DDA in Wi,

) Constructon of Rosd in WIA by MCD

©) Matter regarding legal hazardous waste dumping sies

) Matter regarding TSDF site at Ghumenhers,

) Mater regarding gas supply to WIA.

1) Matter regurding E-waste.

Agenda 3- Cases of power plants w49 units,

Agenda d- Cases of Municipal Solid Waste Mandgétment Project and Siaughier
House- 12 units

Agenda s - Cases of CETPS ~ w.rd 16 CETPs,

28 87Ps,
Agenda 7 - Cases of Water Treatment Plants — w.r six (6) plants,
Table Agenda Hem No.-1 - Period of validity of Corisentto establish (CE).

Agenda 6 - Cases of ST

Meeting ended with thanks to the Chr.
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Construction and Demolition (C&D) Waste Praject of M 1L&FS

& Uy s Limited

Natme of Unitz Ws JL&FS Waste Management & Urban Services Limited,
sdjacent 1o Block-31, Gate No. 1, Hanuman Mandir Roud,
Near MCD Colony, Jahangir Puri, Delhi-110033 (near
Prayas Building),

P

sing of Construsti

i Demolition Waste Debeb,

onseat Status: .

Applied for Consent w Tssablish undes Air & Waer Acts o 13.07.2009:

Decision of Consent Management Com
MSW Cell duted 19.01.2010:

e (Oringe) Wi cases of

Consent o Fistablish under the Alr & Water Acts granted 10 the unit since iy
i the project refated to Climate Change Agends of Delli, with conditon that
it hall ke adequote megsures and ensuce proper channelization/ conrel

stem for fugitive dust emissions fiom various operations nd_other

activities of the unit. bssue Consent 1o Esablish without waiting for the
s,
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durpur Therm; St

Statu of Consent: Consen

s 011 27.07:2007 and valid up 0 21.03.2010,

Ation taken/ Status atter the mecting held un 23.01.09:

A loter duted: 22.12.08 was received fiom Graim Vikss Samitl Motar Bad and
fequested to protest lives rom Cosl Dt and. Pollufon gereraed by NIBC,
Badupur. As desved by Cluimnan, DPCC, comments wer asked trom BTPS on the
letter of Gram Vikas Samit] Molar B vide eter dated 12.03,09. Vide letter i
250305, BIPS suhmitted that s s of messures have beens fakem 1. keep s
pollution 0.3 miniasum level possble and o ae &5 fllows:-

Dust Suppression Sysiem - insalled 1o take care for wagdn Tioplef acea 1o
suppress dust emited while unloading the coul wagon,

Dust Extcacion System s insalled at the ransor point i the ol handing
plant,

Ash Dyke Area is boing Kept wet by requent chiange of Ash sy discharge
poifts for aresting fgive dust and to futher help in vegetation. srowth
clarifie sludge isalo sprayed in o dyk awea.

To augment und strengthen dust suppression system at CIHP auiohuatic wates
spray system ave being installed f critical conveyors

BITFS has more than 175,336 surviving tress u présent, These i forest cover of
o than 35000 s i townslip are and 152000 sq.mt. i plant s,

BIPS ko submitted that the population around the ssh dyke & plant arei has been
Anereased draically i th st fowyeas. I is s being notced Uit many ol peole
e regularly cuting the ross for their fucl requirements. These trees act as Bt forns
hersby preventng fgiive dustcacape. The. cuting of s should be Sopped g
BIPS expect help from Gram Vikes Sunitt Molar Band in this context borvae s
‘cuiing ofwees is o favorable for the socisty.

DPCC Manitoring resuls fo the monlhs of January, Februory & March, 2009 are s

e
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DRCC Monitoring repors for waste ater o Ash Fond fo the month of Janiary,
Felinery & Masch, 2009 s s v .
Netiemg [

T
[

sl additional ESP for eduction of evel f 50 ma/Nm” s p

Action taken/ Status fier the mecting beld on 12.05.09:

Letter was ssued on 22,0509, for nstalltion of Addidonl ESI 1o meet preseribed
vormsof patoulate matter — S0 mg /N’ by DFC

Reply received dted 08.06.09,stating asaleady nformed by the ltir seid by their .
Dircctor o 18.06.08, tha for 3X95 MW unis, ey i taking all posible care (@
mintain ESP emission withi nors by maintaning felds, mechunical s weil 5
electrical system,reganding 2X210 MW units, ESPs are beig mantined properly 1o
e cmisson fevels undsr rorms and (o furie improvement of collection,
effciency,revised schedule of 2X210 MW ESP modifisstion unde repovation &
moderization s
‘Notce Inviting ender (NIT): . Alsady done.
Sale ofender documents 30.06,2009
Bid opening date (BOD) 03082009

Monthly opacisy meter Monitaring Report eceived daed 15.04.09, 23.06.09, 20.07.09,
20,08.09,07.09.09,24.10.0%, 24.11.09 & 19,12.09,

‘Monthly Gaironmentl Reports received dated 35,08 2009, 21.06.2009, 20.08.09,
120809, 22.10.09, 231100 & 19.12.09.

Enviconmental Satement for the yebr 2008-09 dac 20,06.09 eceived,

DPCC Monitoring resuls for the months of April, May, Jue, July, Augisl, Septeatber,

 Outober, November, December, 2009 & Jangary, 2010 a s under:

S No. | Sunpling Losaiion ‘Congeniation n mg/ N3

Paricular Vater_|_Sulphur Dioside

Apr. June [ Ape. | May [Juns
) 00 [0 oy
Duerofunitne, 1A |76 560,
Ductof it % Soi
Duct ofunit no. 268

5 [ Ductorunituo. 28 265

57 [Ductofunitno, 34 g¥i}

6 [Ductof unitne. 38 35 {271
7 S0 (s
[&; o)

5 )

T

2%

Contd. 30
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[image: image15.jpg]Badarpur Theemal Power Station

IDPCC Monitoing reports for waste waie from Ash Foud fur the onth or Apel, May,
Sy, Augus, Septernber, Qctoher, November & Dagember, 2000 ure a5 under:
R, [t s St S

MS, DPCC to ke meetiig of power plant afficlals 1o expedite: the issue of
nstallation/modiication of ESPs 10 cantl of PM eissions and to sesk acion plan to
achieved $0 m/New',

N T

DPCC Env. Deptt. Member (Acd. Inst) (MSW) MSWM Cell
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Consent ssued an 19.03.07 and valid up 10 27.04,08,
Applied for Renewal of consent on 17,0408

Consour e
Putupin next CMC (MSW) meeting

Action taken Status after the mesting hekd on 23,01

DPCC Moitoing resuls for the months of Junry, Febrssy & Masch, 2009 as g

under

| St

T e il
Dt e s 1
T ——— Ty

s
BPCC Moniloring reports for wast vaier
Febary 8 Murch,

g S~
Trom Ash Paud for e monih of Junary,
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e
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et

Action taken’ Status after the mestng held on 12.05.0

Annual Egvisanmental Statement 2008-09 ‘submiitted on 26,0809,
o ot Mesmrers (frtngh) pons at LP, Staion or A 2009, Sep. 2000
& 0c. 2009 dued 26,09.09,22 1009 & 25,1109 respostvely s,

Unitis closed v 30.12.09,
DPCC Monitorin resls for the month of
October, Noverber & Desernber, 2009 &

vl May, June, July, ugust, Soprenber,

e e

SNo. | Sampiing Location

Faiion in g/

Sulphur Dioxide Nox

Apr. [May | June [ Ape. [May [ s
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[image: image18.jpg]Rajghat Power Station
Status of Consent: Applied for "Consent 1o Operate™ on 30.06.2003. Now the it has
urther applid for Cousent to Operate on 17.04.09.

Pt up in next CMC (MSW) meeting.

Action taken Status after the mesing held on 23.01.09:

“The unit has applied for renewal of consent to opsrate on 17.04.09 wid requesied to
e renewal of consent to operate vide ltter dated 22.04.09 us early 3 possible
‘onsidecing s i spectal caue und on priorty 4 the statin is stlving for gerting IMS
eertfication like1S0-9001:2000, 1400122007, . achieve these. Inernational
certifiates, Consent 1o Operae’ 3¢ an essental requirement. The wit hus iitsted
o teduce the st enjssion 80 my/Nind at 1° st

DFCC Monitoring resuls for the months of January, February & March, 2009 are ss
nder: .

Conearlon S

[1s6 L 18] 24 | 4
& Puh B ofunitt | 172 | 140 | 146 T 480] 440
DECE Monifoing reparts fr wast wate foa Ash P

2 ISP 1o meet o preseribed standusd of PM 150
me/Nm3.. Furdher 10, expedite for aditional ESP 1o achicve. the PM level of 80

Action ke Status after the mecting held ou 1205.09;
A leter wa ssucd on 22.05.09,to mprove the perlormance of exiting. ESF 10 meet

e prescribed standurd of P 130 mg/Na and 1 expedite for diionsl ESP to
' acheve the PM level of 80 mg/Nin3.
A neply received fromth uni on 1206,09 i
“Tendering proses for upgradaion of ESPs cntelles s compirized ippng
spsem is o quite advanced stago and wamkey Job order 1s expessd 10 b
plced by Juty 2005, -
Ui shutdowss is. planned during the. month of Septeber 2009 6 Deceinber
2009 ano by one on the Uils for implemeruaion of sbove. upgruded
conollrs and rapping sysi.
Also requested for Renewal of Conseot 1o Gpernt, since they e in th
roces ofobaining IS0 9001, 150 14001 s well o OHISAS 13001
Montly repor for stack eision of RPH for the month of May 2009, June 2009, July

2009, August 2009, Scptember 2009, Ocs 2009 & November 2003 dated 01.06.05,
04.07.09, 10.08.09, 07.05.09, 12.10.09, 05.11.09 & 03.12.09 rceived,

Cond.2 .





[image: image19.jpg]Rujghat Power Stugion

Evizonimental stuius/ Pollution measuros report for the o of July, August, Sept, Ot
09 & Nov 09 in regard 10 RPH dated 19,0809, 15.09.09, 20,100, 17.11.05 &
23,1209 received,

Annual Environmental Sstcment 2008-09 for RPH dated 26.08.09 recelved,

A tepresentation dated 04.01.10 recsived regarding Renvwal of Authorization under HW
(M & 1) Rules, 1989 s amendiod 10 date,

DECC Moaitoring resulis for the months of Aprl, May, June, 35, Auigist, Septcinbier,
‘Octaber, November, Deceimber, 2009 & January, 2010 e a5 undr:

Saugiing Cocition Congentegtion i /N3

SN Fartculai Vi | Sulphur Digxide

[ May [ Juns [Apr. | May | Juns
0

[TATY

330

Duct ol wnit no. 1B

I
2. 5|
3. | Ductofuitnolln
4

Duct of unit o, 15| 1

| Somplin Location

Dt of o, 1A

Duct of it no, 1B

I
2

3. [ Dustof unit no.f1A
+ by

5.

167

L 7

4 [Ductof unitno, 1B % | # | 164 | ] S
Sampling Location | | ~Concentrat

Pariulis Vier Nox

Jan, 10

2 it o, 1A | 208
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[image: image20.jpg]DPEC Moritoring reports fr wiste wte from Ash Pond for the month of Apri, May;
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[image: image21.jpg]Pragati Power Station, ITO

Status of Consent: Applied for renewal of the Consent vide 1D, No. 24530 dated
18.12.07 (Barlier Consent to operate issued on 21.12.05 and valid
up 10 12.01.08).

Action taken/ Status after the meeting held on 23.01,09:

Monitoring report for the D.G. Set is still awaited,

DPCC Monitoring results for the monihs of January, February & March, 2009 are ss
under:

SNo [ Sampling Locaiion

tration of NoX in ppm.

L Jan. 2609 [ Feb. 2009 | March, 3005
T | Ductof unicl 10 # 10
Z Duet of unit-1f 15 # 10

DPCC Monitoring reports Tor waste water from Ash Pord for the mondi of January,
February & March, 2009 aré as undl

BT Lo P D p— -
Mot [T TR T e o [T Ol 500 G5 Rerks
G Grenso

BT [ e o I O e o E
W Sty

0, T i v [

ECT e AT 2 2 <

= i = =

D

et be subm

Action taken/ Status after the meeting held on 12.05.09;

Lettet for monitoring report of DG Set was issued on 22,05.09.

A teply was received on 24.06.09 alongwith Noise monitoring Report from Shriram
Institute for Industrial Research, dated 31.12.08,

A representation dated 04.01.10 received rigarding Renewal of Authorization under HW
(M& H) Rules, 1989 45 amended to date,

Pollution measures report for the month of July 2009, September 2009} Oetober 2009 &
November 2009.in regard of PPS. dated 19.08.09, 20,1009, 111100 & 04.12.09
received. | |

Annual Environment Statement 2008-09 dated 24,0809 received, l i

i monthly status report for 330 MW PPS fot the period of Jan. 2009 to Jun 2009 dated
19.00.09 received.

DPCC Monitoring results for the months. OF April, May, June, July, August, September,
October, November & December, 2009 are as under:

SNo. | Sampling Lacation Concentration i mg/Nim3

Particular Mawer | Sulphur Dioxide Nox

Apr. [ May | June [ Apr. June | Apr. [May [June

909" oo |09 09 Joo |09

1. [Bustofunitnoi |~ |~ |- |- 10|10 |20

2 Duct of unit po. 1| - P 10|10 20





[image: image22.jpg]SiNo: [ Sampling Cocation

Contentration in me/Nan
Sulphur Dioxide Nox :
July T Aug, [ Sept. [ Tuly [Aug, [Sept
09" 09 loo 00" |09 |09
T fuitno 1 = 20 | %0
2 of unit o, 1T = S T

SNG T Sampling Losation | Concenration i i/ Non .
Partieular Matier | Sulphur Dicxide RNox

Oct. [ Nov. [ Bec. [Oct. | Nov. Out. [Nov. | Dee.
L] 0 [ Joo |09 |og @ foo |9
L [Buetofunitned | = | — [ [ —| - 10 10 10
2. [Ductofnitno I | — | = |- | = T w010
SXo: | Sampling Location — Concentrution i rig/Nim3
Bartfoular Matter Nox
dan. 10 Jan. 10

L[ Ductofunit no. — B3 10
.| Ductof unit no. 1T = 20

7~ Unit shut dovn
DPCC Monitoring reports for
June, July, Augus
Dot [ A Pond Dty
Monioring. [ 188 BT
Grese

R K I o 1oy e e s T, O SO
i i i R Sandar
sigher v
ke e g
U e e e i S | S e T
20T SO i ) 3
= e s EEM—E s
e §Ew—rTy o
S N e S e et o )
g
. inathy
o3 = = G TR ) -
£ E— T
= == = R R T
T

Issiue renewal of consent.

g R U N W

DPCC DPCC Env. Deptt. Mewber (Acd. Inst) (MSW) MSWM Call





[image: image23.jpg]ine Power Station
Status of Consent: Applied for renewal of the Consent vide ID. No. 24589 dated
27.12.07 (Earlier Consent to operate issued on 23.03.07 and valid up to 04.01.08).

Action taken/ Status after the meeting held on 23.01,09:
DPCC Monitoring results for the months of January, February & March, 2009 are as

und,
SNo Concentration of Nox in ppm
Jan., 2009 Feb., 2009 March, 2009
i 7 a i 60
2; - | #h Wi
},3‘ 60 60 i
4. # 60 )
s 70 [0 70
6. i # 70

DPCC Monitoring reports for waste water from Ash Pond for the month of January,
February & March, 2000 are as under:

ol Ash Pond Dischurge | Conden i3 =
e I o e W[ TSSOk [BOD [TOD | ek
Gietse walabis Girease
Chiorne_| .
ndaids €3 (100 |20 [6383 | Notmore han [ 050 [ i U R T
83 10°C higher Sondsrts
i intake
waler
wempersiue L i -
S R N . N T T
T==1= = S N P A
55 R 0 O 2

The unit has submitted Noise Monitoring report from measures Shri Ram Institate for
Industrial Research for acoustic enclpsure installed with D.G. Set.

Decision of Consent Management Committee (MSW) ifs meeting dated 12.05.2009:

No action. 3

Action taken/ Status after the meeting held on 12.05.09:

Envirgnmental Status Pollution Measures Report for the month of July, August 2009 in
regard (o, Gas Turbine Power Statian dated 19.08.09, 18.09.00 received.

Annual Environment Statement 2008-09 dated 21,08.09 received,

A representation dated 04.01,10 received regarding Renewal of Authorization under HW
(M & 1) Rules, 1989 as amended 1o date, 3

A Pollution Control Measures (formight) report at 1. P. Station for July 2009 dated
19.08.09 received.

DPCC Monitoring results for the months of April, May, June, July, August, September,
October, November & December, 2009 are as under:

Sampling Location Concentration in ppm
~ Nox
$.No. Apr. 09 [May 09 [June 09 [July 09 [Augusi 69 | Sept, 09
i 60 60 60| 60 60 60
B [ PRI 0 60 *
5, LK I 60| 60 60
4. 60 | # | 60 60 | 60
5 70|60 | 60 60 0| %
6. 70 70 | 60 | 60 70 #
Contd..2/-

; ' @





[image: image24.jpg]LP. Gas Turbine Power St

[ Sampling Location Concentration in ppm
Nox

SNo. Oct. 09 Nov. 09 Dec09 [ Jan. 10
L GT-1 60 i 70 60
2. GT-2 70 60 # i
3 |Gra 70 60 60 #
4. |GT-4 # # 60 60
> 1 GT 60 # # 70
6 |Gr6 60 60 70 60

*- Shut Down/ Under Maintenance,  #
#- Boiler of STG non operational.
#t- Heat Recovery Steam Generator (HRSG) Shut Down,

DPCC Monitoring reports for waste water ffom Ash Pond for the month of April, May,
June, July, August, September, October, November & December, 2009 are as under:

ute o | Ash Pond Dischrge | Condenser Cosling Waier £
fonioring. i TTSSTTONE | P [ Temperawre | Free [ pii | TS5 | O & | 565 T o0
Grease: Difference. | avaitble Gresse
Chlorine
tandards 65 100 (20 65 | Notmore 050 6590 (50 |10 30250 [§TP
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Decision of Consent Management Committee (Orange) wrt cases of MSW Cell
\dated 19.01.2010:

No Action. |

%ﬁﬁl}% bﬁéﬁe’/ P L K Gupla S}bl:”. LMW

DPCC DPCC Env.Deptt. Member (Acd. Inst) (MSW) MSWM Cell
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Status of Consent: Consent to establish issued for one year for 1600 MW on 27/7/2007,

Decision taken in meeting held on 26.06.2007:
Lssue consent (0 the wnit for 1600 MW considering Environmental Clearance granted by
MOEF for 1600 MW,
Action taken/ Status wor.t. the meeting held on 26,06.2007:
Consent to establish issued for one year for 1600 MW on 27/7/2007.,
Decision of Consent Managemen( Committee in its meeting dated 19,10,2007:
No actior
Remarks:- No application for extension of consent to establish reccived,
Decision of Consent Management Committee in its meeting dated 29.07.3008:
Ask the unit 10 file latest status report and item-wise compliance of Environmental
Clearance conditions through an affidavit within one month,
Action taken/ Status after the meeting held on 29.07.08:
Letter issued on 14.08.08. Reply dated 12.09.08 received from the unit with para wise
t status of the project. Accordingly, contract was awarded to

- Preparation of drawings, design memorandums etc, by BHEL are in
progress. BHEL has also completed the Survey and Soil Investigation of the site. The
Civil Works are schedule (o commence by October, 2008,
Decision of CMC (MSW) in its meeting dated 10.10.2008:
No action.
Decision of Consent Management Committee (MSW) its meeting duted 05.12.2008:
The progress report along with PERT und CPM chart may be sked.
Action taken/ Status after the mecting held on 05.12.08:
Letter issued on 29.12.08. A reply dated 20.01.09 received form the unit enclosing with
progress of the work and copy of L-I/PERT Network. The progress of the project is as
under:- el

Hon’ble Prime Minister laid the foundation stone,

Tum Key Contract awarded to BHEL,

Contract signed.

BHEL has awarded civil contract to MJs: Era who have since mobilized at site. ‘The

Construction of boundary wall s in progress since 30,09.08,

Pilling work has also started since 20,12.08,

Excavation, leveling and dressing work are also in progress

Design and Engineering of various equipments is also in progress.
Decision of Consent Management Committed (MSW) its meeting dated 23.01.2009;
No action. T
Decision of Consent Management Committed (MSW) its meeting dated 12.05.2009:
No action.
Decision of Consent Management Committee (Orange) wrt cases of MSW Cell
dated 19,01

0

sk the unit (o submil progress report on construction and commissioning of the plant
and apply for CTO before commissioning of the project,

%:‘K Mys/ Q:\i:‘/ PrchQGupm su}v L%/ T

bpCC DPCC  Eav. Deptt. Member (Acd. Inst)  (MSW) MS“WM Cell
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Status of Consent: Applied for Consent to establish for 108 MW on 10.07.08.
Details of the Projeet:
Proposed capacity of the plant is 108 MW (Natural Gas based Combined Cycle Power
Plant).
Plot Area - 24281 59, m
No. of workers 60
Proposed date of commissioning: - May, 2009 (Open Cyele) and August, 2000
(Closed Cyele).

Total Capital Investment :- Rs. 256,45 Crores
Water consumption: - 8640 KLD (Treated Effluent from Rithala
STP).

P proposed for reatment of 4320 KL and afler treatmient effluent will be wiilized
for floor washing, dust suppression and greenbelt while. the remaining will be
discharged 1o nallah near the project site. As per the norms.

Domestic effluen 108 KLD 1o be disposed of Sewer of Drain,
No D.G. Set proposed

Remarls:- An application for hearing under EIA riotification has lso been received

in DPCC and is under process by Consent Management Cell. Public hearing 15
scheduled on 22.08.08.

Decision of Consent Mansgement Committee in its meeting dated 20.07.2008:
Noaction.

Action wken/ Status after the meeting held on 29.07.08:
Nil.

Decision of CMC (MSW) in its meeting dated 10.10.2008:
‘Weit for Enwironmental Clearance from MOEF, To be taken up in next CMC IS W),

Remarl
Environmental Clearance is yet to be received from MOEF

Decision of Consent Management Committee (MSW) its meeting duted 05.12.2008:
Wait for Environmental Clearance from MOEF,

Action taken/ Status after the mieeting held on 05.12.0
Environmental Clearange is yet 10 be reccived from MOEF

Decision of Consent Management Committee (MSW
Wait for Environmental Clearance.

meeting dated 23.01.2009;

Remarks;
Environmental Clearance was issued on 24.04.09.

Decision of Consent Management Committee (MSW) ifs meeting dated 12.05.2009:
Issue consent (o establish and ask to submit tem-wise compliance of Environmienial
Clearance conditions through an affidavit within one month,

Contd. 2.
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Action taken/ Status after the meeting held on 12.05.2009;
Consent to Establish issued on 28.05.2009.,
Compliance Affidavit — Grant of Consent ta Bstablish submitied on 01.05.2000,
24.06.2009 & 25.06.2009.
A report on compliance to Environmient Clearance- 108 MW Rithala CCPP of NDPL
submitted on 21.07.2009,
Plant is under construction,

Decision of Consent Management Committee (Orange) wrt cases of MSW Cell
dated 1901201

Ask the unit to submit progress réport on construction and commissioning of the plant
and apply for CTO before commissioning of the project,

DPCC DPCC Env. Deptt. Member (Acd. Inse) (MSW) MSWM Gell
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Name of the agency: Mis Pragati Power Corporation Lid., IP Estase, Ring Roud, New
Dl

Partieulars of the project: Generating Blectricity

Status of Consent:

finplied for consent Lo establish under Air & Water Acts vided ID, No, 31499 di.

18.09.09,

Details of the project
4 Proposed activities is for generating electricity of 750 My (Nominal /8010 MW

(max).
- Proposed Investment on the project is Rs.3022.17 crores,
Total Plot Area is 2,00,000 sq m

Built up area- 1,00,000 5q m, e

Proposed o be commissioned from 2011-12.

No of workers & other staft- 480 persons

. Water consumption:

Domestic - NIL, Industrial cooling ~ 38,400 KLD,
processing — 2,400 KLD, Other (Gardening) - 2,400 KLD
b Quantity of domestie waste generated is 10 KLID and Indusisal s 19920 KLD.
§ B Sets proiosed to be installed —2 X 1500 KVA with acoustic ncleauns

J: Perpetual lease by DDA for this land s enclased.
Environmental Clearance Status:
Yetto be obtained,

®repe

Remarks: v |

1. Unit applied for CTE along with BIA seport with o request to conduct public
hearing

2. No request/direction from MoEF, GOI received for conducting public hearing,
before issuance of EC. .

of Consent Muniige
01201

et Committee (Orange) wrt cases of MSW Cell

SEBE tocheck with the department of Bower, GNCTD, Dy, Comrissiones and MoEF
nd put up the'fle on the issue of conducting public hearing withows waiting for
minutes.

DPCC DPCC  Env. Deptt, Member (Acd. Inst) (MSW) MSWM Cell
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The monthly tabular status of three coal based Power Plant is as given below:
1. 1.P. Thermal Power Station

SINo. | Month Uliization | Ash Utilization In the main area (LTPM)
% Bricks | Coment | Road & Land filling
Gen. | Utilization | Utiization Embankmant | & others
wrem) | (Lrem)
i | Api, 2008 | 0278 | o2o7 | 10683 | 0086 = 0,023 0218
2| May 2008 | 0317 | o016 | 5047 008 P 0,104 [X]
3 [June, 2008 | 0245 | 0337 [ 13608 003 ES 0063 6203
4 [Juy,2006 | 0244 | 01 [ 1285 0,022 | 6055 0074 0.145
5 | Aug., 2008 | 0209 | o054 | 7368 0013 | 0025 0081 0042
& | Sept2008 | 0.170 | o219 | 12685 | 0o3s | o045 001 0078
7| Oct,2008 | 0193 | 041 | 23686 | 0031 | 002 = 0365
8 [ov,2008 | 0183 | o033 | 17481 | o5 | o003 = 0301
s |Dec,2008 | 0274 | 037 | 'B04 | opps | oorr 0365 0265
Total 2120 | 268 03| 0267 073 1738
2. Rajghat Thermal Power Station
STNo. [ Wiomth | Ash Gonoration EUNzaon S Unizatlon In the maln araa [LTP
s [Ash % Bricks | Cement | Road & Land filling
Gon. | tlization | Utilzation Embankmont | & others
Crew) | (LTPm) -
1 [Apri 2008 | 019 | a7z | 8472 | 001z | ooti G148 [
2 [Way.2008 | 0149 | 0232 857 | 0037 | 0023 0172 [
3 |sune2008| 0170 | 0324 181 | 0038 | 0036 0248 o
4 [y, 2008 | 0215 | 0163 7561 | 004 | 0035 0,087 [
s | Aug,2008 | 0201 | ogse | 3a32 | 000a | ooer 0037 o
6 | 'sepi2008 | 0205 | o178 668 0049 0021 0,076
7 [Oct, 2008 | 0206 | o0ars_|i 3858 0.004 0035
& [Nov,2008 | 0217 | o181 8368 0044 0115
8 [Dec, 2008 [ 0220 | 0185 || 7045 0051 0074
Total 0178 | T1549” .28 [XZE) 03
3. Badarpur Thermal Power Station
§-No.|"Wonth [T Ash Generation & Utllization | Ash Uilization in the main area (TPW]
Ash | Ash Bricks! | Coment | Road & Land filling
Gen. | Utilization | Utiization | Blacks Embankmont | & others
(Pm) | (TRmy | i
1 [Apri, 2008 | 61936 | 26550 || 2650 = =
2 [May 2008 | 101182 | 32040 | 3167 - =
3 |ldune, 2008 33480 | 2856 e ez | =
4 [uly, 2008 | 114546 | 7225 - = = ==
|5 [ Aua.2008 | 115460 7522 - = = =
6 | Sept, 2008 | 130449 9152 = = =
7 |'oct, 2008 | o713 | 5052 = =
|8 [™Nov. 2008 | o012 | tot700| 11284 | - ThoeiE
9 |Dec,2008 | v2852 | toss70| 11525 | - = = =
Total 950164 | 677820 63070 | 16480 21870 378570

Decision of Consent Management Committee (MSW) its meeting dated 23.01.2009:

Ask Thermal Power Plants (o submit monthly report ash generation & its utilization and
efforts for 100% fly ash utilization.

Action taken/ Status after the meeting held on 23.01.09;
Letters issued on 23.02.09. As per reply received, Fly Ash Utilization by Power Plants is

as under:-

Contd...2/-
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Thermal Power Plants

1. LP. Thermal Power Station

S Ne. | Wonh | Ash Gonsration 8 Uilizaiien ‘Ash Uillzation i the mali ares (CTPH]
Ash | Aoh % Biicks | Comant | Road & Land fling
Gen. | Utiization | Uilization Embankment | & others
TPy | (e l
1_Lian 7000 | o777 | oasy | 79971 | 655 | i Cos1 264
2 [Feb,2009 |"0232 | 0418 | 180.97 0.083 0.142 0165 |
3 I'Mar,2005 | 0256|0480 | To147 38| 0,054 0051 0307
Total 765 1.295 169.28 0.088 0.238 0.232 0.736

2. Rajghat Thermal Power Station

= WO | Ash Gengration & Ufiizatia eh Uiization i ths mmain ares (LTFH)
[&an T Ah e Coment | Road & | Land fiing
Gon. | Glation | Guzation Embankmont | & thers
. WCTPm) | (TP | R
T Jan 2009 | 025 | o138 0005|0057 | iots 058
2 [Feb, 2005 | 0185 | 0718 = o0 | o1 =
[ [war 2000 [ o122 | osss Taora | ousz n
Total 0857 | 067 0005 | 0205 | ases Goss

3. Badarpur Thermal Power Station

SING. [ Wonth

[ _Ash Generation & tization

nin tho inain area (TPH)
Boh [ Ash % Road Cand fllig
Gent. | Utiization | Utiization |-Bioeks Embankment | & others.
| ewy | (rem) £,
1 1dan2000 | 131376 | 130075 | iy 630 _| 975 | 8500 50000 42500
£ {Feb.2000 | w2221 | 20005 | 102 20 | radss | sm0 | oo 27930
3 He2000 | ioases | Trrze0 | o5 | via0 | ase0 | ppsen 25600
4 Ao 2000 {7 100080 {6100 [Ta7.85 | 1600 | 000 16000 | 5500
Total Aoteas | Horsng "I 6020|2018 | vason | 267300 Teaesg 1

1on of Consent Management Committee (MSW) it meeting dated 12.05.200
Trainee to inspect all three Power Plants and to submits report on Fly Ash gencration
and its utilization.

Action taken/ Status after the meeting

Trainee inspected all three Power Plangs
and its utilization. File submitted administratively,

Monthly Report on Ash, Generationl ‘and’ Utlization for April 09, August 09 &
September 09 dated 25.05.09, 23.09.09. & 30,10.09 recet from LP. Thermal
Power Station. |

Monthly Report on Ash Generation | and Utilizatio
October 09 & November 09 dated 26.09:09, 20,10,
from LP. Thermal Power Station,

Ely Ash Utilization by Power Plants for the year 2008-09 is as under:-
P. Thermal Power Station

lield on 12.05.2009:
and collected the report on Fly Ash gencration

n for August 09, September 09,
09, 20.11.09 & 18.12.09 received

Honth I Ash Genaralo & Ulizaion | Agh Gifzation T i st e
Ash [ Ash % Bicks | Cament | Road & Land filing
Gon. | Utiization | Utiication Embankmont | & otnors
(LTPM) | (LTPM)
1 2008-2609 [ 3.055 3991 | 1306 3% | o506 0.59% 2488 |
jghat Ti al Power Station
Month | Ash Goneration & Giizaiion Ash Utlization n the inain aréa (CTF]
Ash Ash T% icks | Cement | Road & Land filling
Gen. | Utlization | Utiization Embankmant | & othors
(LTEM) | (TPM) I
T 20082006 330 20 [96E 07| oy R ]
Contd...37
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Badarpur Thermal Power Station

SNo. | Month G a (TPM)
Ash | Ash @ricks/ | Camont Land flliing
Gen. | Utilization | Utilization | Blocks Embankment | & others.
B 1. .1
1 [2008:2008 | 1317405 | 10ST@0_ | $024 | 43030 | 16as0 70000 575600

> A letier dated 13.11.00 regarding 100% utilization of fly ash generated issued to
Badarpur Thermal Power Station and Rajghat Power Station issued.

> A reply from Badarpur Thermal Power Station dated 02.12.09 received, However,
reply from Rajghat Power Station is sjill awaited.

Decision of Consent Management Committee (Orange) wrt cases of MSW Cell

dated 19.01.2010;

Ask the units 1o submit complete report o generation and utilization of fly ash including
cumulative quantity ill date. Also, MS, DPCC o convene & meeting of TPPs.

PR S 1y e b T auaons
Chairman M. S. Member Prof- Gupta SEE EE £
DPCC DPCC  Env. Deptt. Member (Acd. Inst) (MSW) MSWM Cell





[image: image32.jpg]Agendad
Pouliry &

e of tho aigency: /s Delli Auriculurs Masketing Bused, 9, Insiustions! Arcs,
Panidio Road, Janakpurs, New Delhi- 10058,
Pacticulags of the project: Moderm Pouliey & Fi market ot Ghstipur, Neow Dl
Status of Consent:
Appled for consent 16 establish under Air & Water Actsvidedt 1D, No, 24811
d1.2401.08 (C/1.98),
Details of the project: .
. Produet i dressng of Pouliry bids- 48 ks birds! monh,
. Row materlal is Poulry birds- 576 lakhs/ anaym,
& Proposed Investnent an the projest iy R 1335 rore:
. Quintity of waste o be isposed per Sy is 30 19D,
Total Plot Ares is 60200 s m sl Bt up arca- 45160.3q o
£ Sanctioned Power Load fpower required- 2025 KW
& Proposed to be cammisioned from March, 2010,
B NooFworkers:
 During consiraction phase — 100 b) During operational phasi- 25
i Water consumprion:
Dousstic - 91000 LPD, Industeial _cooling! boiler feods - 92000 LiD
processing - 1120000 LPD,  Other (Gardening) - 108000 LPD>
b+ Quanity of domaatie wasts gencrated i 80000 LPD and Indesteidl s 1106000
iy
e Propesed Effuent Treatment Plant of 1200 KLD with ey weatmens & UV
Ioadiation bnd reus in fushing, IVAC, DG, Hortieulure (52 of the fle). A
STP o 200KLD s aiso proposed (C/58 of the fl),
L DG Sets proposed o bo nstaled -2 X 1000 KVA +2 X 625 KV,
im: Land alloted by DDA for this purpose (sllotment Jter st C7d.6)
o
A3 per the provisions 0f EIA. notificarion dited 14:09.06 he followirg’ consinciion
ojeets rs o b required Environmiental Clarance forh Mok
Buildio ind Conrustion Projects having bull up srsa = 20000 s ad < 150000
sqm OF bl up seea.
ounships and Atva Development Projécts having covering s akea > 50 bi and or
bt up aea 150000 s,

sent Management
Difecions be ssusd by MS, DPCC for 0 0f ETP within 60 doys

oy be given 1o Chief Secretay and Secrctary, Auricultut: MS sl to st xg 1,
DAV

Action tken Status after the mecting beld un 05.12,08;

» Direction ssued on 22.01.09. Reply is sill awuied, M, . has

Desision of Comsent Management Committee (VMSW) s meet

Butup innext CMC (MSW) mesting,

Action taken/ Status afte the mecting held on 23.01.09:

A reply dated 02.02.09 s ben rceived from the uit st th:

* DAMB iniated the proposal for nstallution 0T TP, A« and whes he spproval s
abtaied from competent authoriy i tenders will be invitsd and conserucuon shal
I ks up. T bound progeasmme shll be submited afler e i of ok

% Preseaily DAMD has slso re-nvited the tender for setting up of-Mechanised Ghicken
Drsssing Plant on PP medel busis and the tenders il be reseived on 19,0509

ter Snfiztion of that endees, seting up of Mechanized Chicken Ditosing Pl
will b taken up st which i iso having ETP faly,

okén,
dated 23.01.2009;

Cana2,

' @
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Desision of Consent Manssement Commities (MS duged 12052000
Nosction,

Action taken! Status after the meeting beld on 12.05,09;

Uni was inspested on 03,09.09, During the inspection,

“The contssted persons {rom the unit were puided & educated sbout the requitement
of msullation of ETP in view of large discharge 1. 600 KLD from present
slaaghiering of birds

A list of empuelled consultants & upproved laboritories alongyith noms Veré olso
‘provided which can further help thegs in the process of istallaion of dequate
ETP,

The unit ean go for testing of inlet semple o s 1o arive the norms/ sundards
prescribed o be mest by the uni.

Tssue Consent  sstablish and ask the it 0 agply for CTO.

VS Member Prof
DR DRCC Env, Dot Member (Agd. Ity (MSW) MSWH Cel

o W L T
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Name & Address: Municipal Corportion of Delhi, Délhi Food Procéssing Cormplex
(Meat)at Ghagipur, Delhi

Correspondence Address: MCD Dty
“Town Hall,Delhi-t6

Status of Conset:

Consent to Estabiish vaid upto 13.09.09, Cons

valid upto 18.12.00,

Activity: Staighice House (175 MLD)

Status:

Agplied for consent to esublish undor At & Woter Act on 02:06:05 ELA report o

aubmiled alongwil the spplication. The case was eaclice deslt by BIA Cel s

of Vetsrinary Serviées, Raom No. 56,

o Operate under Al Woter Acts

Clearanes by MOEF however reply (0 the sid feler has not been receied so
diteeted inspection was conducicd by i team comprising of DPCC offeinls w
TR Jouti, Head, CEOH on 24-08-07(Copy enciosed). During the insperiion e il

& nachineris was going on, The
s als0 going on, In e vicinty the rendering pnt s s
an TP was o scen. The inspection of the faciliy could pot bs dons.
since o responsible person o the.site. Detil of the TP submiticd with he oy
{epart mantions about Physico Cheical Treaunént, Since wiste water generse s
both the section () Slaghter House (i) Rendering Pl has maioly oxganie s
hich s biodsgradble, therefore Phsico Chemical Treatment should b6 auotde g
5 pec HW Rules it il be gonersing Hazardous Wasts, Besides sbove anit should ahg
o for beter sludge hundling mechasism Louer was isusd folowed by the seminger
ot 8 decided by the BMW Commitis & Reply slomg with Report on ET9/ R
FIA Reportreceived. MOEF Clearance et o be receivod

Decision of Comsent Mansgement Conmiliee (MSW) is 15022008
It Bira o Sh. Natosh Kumar eter dte of s a0 G of comgleb oy 1o
Sought by MS. As rogard o studge generation, they st indicate how it 3l b eoney
1l e bio mothy pla i etbiished: Ak the unit o e th adeuncy ot
The e of start of the Gipur sughtes houss is 3l ot clear a the ke Pleasi
Bepvide the etimatad dut of tartof th projot s desired By (S, Accordingly, he
Slosure tim schedule of Tdsh yughtir house is o b communioned to Hoe
ate testing may be dene by DPCC Lt i divecion Tor immedis setig oy of
i view of the very large efluent discharge,
Action aken’ Status atter the meeting e on 0512,
Letterissucd on 30,12,08. Reply is ated
‘Desiion of Consent Masoment Comon
Pul up status i et CMIC (MSW) meeting,
Action taken Status after the mecting held on 23.01,09;
Reminder e issted on 20,02.09, Reply is 1l i,
MOEF fhas infored vide letae daed 25.03.09 that Envisonssial Clesrute b been
fseued 0 25,0509 nd niiue necessry scton 45 Spproprite. Sobesducniy, t
case Was put up i 108" mecsting of CMC (Orange) an 02.04,09 and i s desiton
hat task the it 10 e item-wise complianee affdevic of envirorments sionesnns
condiions. To b taken up in CMC (MSW), Accordingly,  leir wis st o s
eetar (Veterinary Services) MCD on 17.04.09 withcopy 0 Commissiones, MCT,

e (MSW) s meeting dated 23.012009¢

for compliance uidavt a5 well us remindee f previous lien, Reply s oo
Contd...2

®
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Decision of Consent Managenent Commitiee (MSW) i mseeting dated 1205.2000:

MS t0 spei the concemed and give the complince alidavit.

Action take Status after the meeting held on 12.05.09;

> Case s discussed in CMC in s eeting held on 06.08.09; and it was decided that
‘Consent to Establish to be issued.

> Consent 1o Establish with various condiions 1 be complied by the unil waa fssucd
on 14.09.09 vide Consent order no. 21274 und vlid upto 13.09.09.

> Applicaion for Consent to Operate eceived on 19.10.09,

5 As per the decision on fle, temparary Cotsent to Operute fssued o3 22.10.09
i valid upto- 18.12.09, with the conditions to submit the discrepancies

application within 2 months of issuance BF the Consent

A lette was issued for complying with the various conditions including Compliunce

F CTE/ Environmental Clearance (EC) conditions vide ltierdated 9.11.2009,

> No reply received from MCD.

» s per Hon'ble SC order du 18.11:2009, peaple can file representations regring
their grievances (o MCD and DPCC within two weeks and the agencies will espond

postively within 6 weeks,

Three representations received raising various fssues, bt dossnot pertai 10 DPCY

Received o lexer from the regional offce of MoEF reg non subinssion of progess
weport.

Decision of Consent Manigenment Committee (Orange) wet cases of MSW Cell
dated 19.0030]

Ak e DPCC lab to condict the monitoring w.r., water / it/ noise and bofler without

waiting for minutes, Also SEE (MSW) o inspet the premises before the meeting called.
by €S, GNCTD on 22.01.2010.

e Tt il
AR I e

DPEC | DPCC Eov. Deptt.” Momber (Acd. lnst) (MSW) MSWM Cell





[image: image36.jpg]Staughter House at tdgal

Phe brief chronological tatus of 1gah Staughtee House i a5 under:

Date
27011995

1211199

1902199

06042000

03072000
03072000

18092000

o3.01.2003

06022001

2022000

19042000

13062001

0910200

Event

Hon'ble High Court ardersd to close slaugher house on o
before 311295 und also curtailed. the o, of staughiering
il i 1 closure.
Letter of MCD regarting modetnization of Siasghicr House-
feausst for issus of NOC, (CU5). No. spplication for
NOC/Consen o aperite,
Order of Hon'ble Supreme Court mentioning “i ths menirne,
Stotusequo shll be mintained (CI12-13),
Inspection by DPCC offiiuls {€/14). Following ace the main
observations
NoETP instlled,
Solid Waste e aiso statn i (0 e
Aspet MPD-2001 staughier house i 1 category,
However it i operaing i per st quo argy of
Hon'ble Supreme Court order duted 19021996 and
03021997
Based o the above said ispection notics Uls 33 (A) ofthe
Water Act issued to the uni (C12
Directions Uls 35 () of the Water Act s 10 th uei (¢728)
for nsialation of STP etc,
Hanble Supreme Court ilowed one year tine 10 MCD o
melemization of slaughter house In i ander (C/51, The onden
Fanher ditccted that may.spplcation fom the MCD fo DY 1o
chargs of lud s should b dsputed of by DDA on pricsy
0 DPCC should render il sdvice from ime 1o e,
modernization of IDGAH staughier house.
Minutes of mesting regarding modemization of lghuh laughes
house nder Chairmanship of Pr Secreary (UD) (CF4).
Leter 1o MCD informed {hut e
CPCH 0 the Staughter House i
and ence s still vald.
O letter of: Commissioner. MCD for issic the NGOG for
modemization 0f Igsh Sluughier House (C/34), Howeves,
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Detailed projeet eport.
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of i cte.
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Augest, 2010,

2009

Desision of Consent Management Comitice (MSW) it meeting duted 2
Putup in et CMC (MSW) msting, .
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* ey huve planned 1o treat 1300 TP MSW to gencrate 450 Tons RDF & 225
Tons RDF from Timarpur plant from 650 TP MSW (o generate 16 MW Power
= Furher, u proposal is under submission for consideration 1o shift waste o be
processed at Timarpur by creating 3 line mechanisms from 2 linc mechuniom,
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of Consent Manayement Comuittee (MSW) its meeting dated 12.08.3009
No action

Action taken/ Status after the mecting held on 12,05.09

> A representation was_received from Sh. Neelesh Gupts, Assit, General
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(management & Handling) Rules, 2000,
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Action taken/ Status after the meeting held on 12.05.09:
A letter issued 10 the unit on 22.05.09 for Noise Monitoring Report and Consent 1o
Operate

5 Applied for Cansent o Operate under Orange Category alongwith Noise Monitosing

Decision of Consent Management C
e 19013010

ttee (Orane) wrt cases of MSW Cell

Issue Consent 10 establish, consent 6 operate and wuthorization ider MSW Rules, 2000,
without waiting for minufes,

ML AP U b e g e

DPCC DPCC Env. Dept, Member (Acd. Inst) (MSW) MSWM Cell
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Agenda No. 5

Comsent status of
Consent 0 operats issusd on 28,0207t
s valid oy 07012010,

Applied for Rencwal of Consent o 04,01, 2010,

P society for period of e years

Decision of Conseut M
1205.200%;

e 06 relation of dfiiences and susision o Bk Garatos s
S e, Leter (o CRO, DI far providing the It of wnitonr eeamn
il omveyance s, .

Action Takon Reort

Aenérwas isued on 22.05.2009

etent Commitice (MSWY in 168 weeing datsd

TP Souicty s submited s eply o 12,0620 s st o wndrs
1. e fow meter s operaionl

P e shulge tickenee design i been provided by NEERI s e
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thickaner s Fully operations)

3 e TSIJK ut Fardubic I g appvonehod i o auicins will b
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e 2009 gain i March 2005 he iy Kty b
refered.
e, el by, lesm of DOCC gty o 17,0604 und
abservations made are s uridets
CETP found operiona)

- Flow mcterat ket 0 CETR fousi fnconsl,

= 7 DMEE& 3 ACEs found aperation on ptationl busi,
Studge tickener nocdy improveiment,
Vacuun pump & iler Fousd openional,
e e ound n o s & dey e i st shed,
ootk i month f Aprl 09-134.3 i, (v A 47 i) i
13076 ML (Avgd,36 ML)

T Toalay. of g s S6.6 MT, s er g bosk,

- Sludge stored i twe shods on paces ooy

s, Thspected by teain of DVCC uficals on’ 300909 gnq

Observations made are a5 under

Flow metee at nler of CETP found o it

o et sulzalion ok sl was o ot i pertion s
algoe formation séen,

o Gt aih hs g b Gund sl ot
Same vt (0w not working d 1 ey imsl
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7 ot st sy s G S ey s g
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-+ No low meter found ut et
AU the tme of inspection only 6ne aerutor foud in opérktion out of six
eratos installed i two equalization tuks.

- Out of foul 27 pressure gauges instlied with 17 DMEs and 10/ ACFs,
4 DMPs and 6 ACT pressue gauge found oul of arder.

- Boualization tank found ited with maximam part of siudge and shows.
sepic eonditions,

- Waste waler pump for disposal of waste water from sludge thickener
found out af order:
O bcach mixer found out of order:
One vacuum filtr found ot of order and Wnoiber drint i HoL functionios
prop.
Cleaning of pre-chlorination tank i required due to soumming and siltng,

A Tettar dunedd 16.09.09 has received, requesting for removal of shudge from
huzardous waste category.

As per DPCC analysis Teporl, parameters nol coniplying with the preyeribed

Rorms during Following morihs are us undor:-

L)
—T—
ASSOE 440
Grp2er, Eluoride 2.4
ol
TS0

it
3380 T
Ol & o208

B T—

Ts$296 | E R0
cimaer THS3810
Fluord
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s letter for rectifcation of deticiencies observed dusing the inspestion sad.
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* That Gy, ofslude is very high lying im e Vasious places of plants
hich is can el b ST b e f the s of disposal
S8 1 reuired for which ul the othorins ey e
comply.

has subritied u leter duced
1y DECC, 6% Flaor, Playerss
100 pRyent of duds agaig
e the hindrancesin the oot
CIETY by not paying the ouistsnding wnoun fo-sre socitty
ooy pang SEPRODI aton agio acupies of upe e (o e Mis.
et Rerallig. sitatid ot 46212, G.1. Karnas s ustrial Area,
33, M Surl Rolliwan siaied 5 A Karual Road
G A DA1003T & - M, G618, tarr A,
- Karual Road Industrial Avea, and Doty 110935
Ahereaibl was Inspected by wam of DPCC offints on 30, 1609 ana
observations made
Hlow metar at inlet of CETP foiid o funerionat,
Ntz ks foun iled with sl s sty of sy sludge,
Agitors of squslization tank fousd ofiat st
* Vacuum Sier & pa (one) ound quatiars
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One vacuun pusnp on finction
Studge stored in REPS room, fnal effiuent pump house and in shidge
shed in PVC Begs on pacea 1150,

The CETP was inspected by teum of DPCC officiabs an 29.09.09 and

absarvations made are s wnder:

= Plow metee o instaled. I the efTueat sump at he inler, Septic condition
was prevailing. The top layer of the effluent in the efiluent sunp was
totally cavered by the losting materiss,

= N effluent in the gt chamber was observed, setle dey shudge sedimens
in the middle rov was abserved.

Sepie condition i ons 0 the two equalZation tank was abservied.
Sludge tickener wes four non opsraionsl, Pump (Vasaum) used (0
cate the shudge 1o drum for Uickening the shudge was found under repoi

- Civeular pressane gauge. provided with Dual Media Filer (DMF) und
activated Carbon Filier (ACK) was found out of order, No provision for
reated water reused provided.

= O and Gresse sirup afer the it chinber ¥ ot provided in the CET.

= I both the cqualieation tanks it has been obscrved that the suid tank wis
illed iy ahort more than 70% of the shudge.

= Dry shudige was found siored in covered sheds and also in the gunaing
bags.

CETP was inspected by tem of DPCC offiisls on 181209 and

abservations made are s unde
CETP found not in operalion except (wo Astalory are Operating
Squalization ank.

= No flow meter found u ilet

- Shudge i being kep sored . Kcha flar and in apen ares, bowever
‘Same quantity i being stopéd atisolated place i covered

= Vacuum filie found not i opestion. The shudge is kept i dirty
condition.

- Ol oftolalten pressure Bauges installed with six DVIFS und 4 ACFs,
ouly five found working.

- Water pumps used for 1 the s water from sludge thickener found
out of order. i teporasy artangennent for 1o the same s been made
with loxible pipe.

- Sludge genceatod in shidge thickener and sored in sludge halding tank is
g disposed by a exible pips 0 4 concrets Lk near sludge storage
s i iheate 3 being dischange into ground.

- Sludge accumalaton observed i receiving camber, g5t channel,
cqaidation tank otc.

A4 per DECC anlysi copor, pitaracters ot complying with 1he preseribed
norms during ollowing months ur s under:
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e ltter for rectification of deficiencies observed during the Inspection and
monitaring of waste water and saSmission of Bk Guarantes s sought carlict
Ndso, sssuea SON for launching prosecudon for not Aling consent application fn
spite oF number of leters,

2 b oo e b
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Comsent status of CETI
+ Cansent to aporats expired an 27-67.0
* Applied for cenewal of consent on 14.12.2007,

Deision of Consent Manig
IS0

Hcber Sscroay 10 el the DSUDC oficials und ask them 1o st CETP
immedinsly g which, Bk Guarantosof R, 10 1k b pecc
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ot o hemicals wlich could no b purchaed 38 the s wee s
Batkion, 2 Gov. of Deli. . Now:the. chemica tuve b pisopasey o
i ot b providel Rt the CETP Lunrenee Sous nay hecy e
fonctional since 25, May, 00,

CETP was inspecte by (ea
abservations made are s wndors
- CEIP found in operaio

- Flowe metee at ket of CETP found fstionul,
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2 i, d
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52201,
chanice st o gt collcon srmpner o s mnicnnncs,
- ube seuter cleaned fund funeionl
Sludgs stored n atin shed on pacen foor,
oty o tude sored at it (us per o book)-115295 kg,

CETP could not b 2 OF DICC officals on 249,008 35 the

pected by ks
ST et e found osked.” Sl Sharad Kamar, B8, oy sy was
it was informed that CETP has ooy oy

contacted telephonically
' (Octohr 2009) in which five people have

of DPCC officisls on 250609 and

o i duc 10 4 Accide
st their e,

o0 181209 wnd observation

receiving chamber.
s ressived fiom Sl Sharat Kumar, K8 (55,
833 tesult of samples callscied - from Liswponse Rocy

Following submissions s b made ;

1 Tor contiling T8, DRCC may ke nesessary st on. defuling,
inthsris 50,8 lo mainiain the coscentation of 158 s pat o 1
plet of CIETP ance tho TS is conirollo at inet, 6 copeenumnr
i e reducs e, oulst a it 1s mirginally Tigh foms
required sandacd.

Yo comollin, BODS 1Y Dl e b ngaged 6 o consta
SN suitable mosures o trat BOD a4 ey i, e
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Conent status o CETP
Consent t operate issued o1 28,0207 to CITP wociety [or poriod of three years
and valid up 28.12.09.

Applied for Renewal of Canséat o 30.11.2009.

Desision of
205,200
Tssue leter for restification of deficiencies and subimission of Bank Guargnic a5

Sought curlier.
Aetion Tuken Report .
Aletter an ssued o1 22.05.09.

CHTP society has submitded s reply on 22.07.09 stting as under:-

M

» The shudge ying i the Equatization Tusk has ot besn reoved for wint
of adequte storage facifty for he same in the Plant, We have been
Iequesting. out Appropriate Aubhority, Office of the Commission of
Industics, Patpirgani, snd Dolhi-1 10092 (o permit 45 1o consruct » shed
for sioring the generating sludge inside the plant premises.  However no
eply s been received from their end till date. ‘Similurly we have also
wiiten 10 your office vide our letee of even number dated 29* May, 09
sequesting for udress and other deailsof Uhe site selected where the shidge
b transferzed. "o seply ta this eter s s awaited.

= As regands the Vocuum Filir, i s ssted that one vacuum fites has fiot
been fanctioning from the very begiaing i from the time the-plant was
Handed over 10 the Sosiety by DSIDC, We have been trying to take help
firom DSIDC 5 well as the suppliess of vacuum filer and bring it ack into
operation,However, this has not affected working of the Mant in any
msnner since the other yacuum fille s working smoothly.

© A6 i s TS it the oulet of CITP, Bl is concerned, it is claified that
there 3§ no provision in the Pt to carrol THS in any way wnd we ire not
in & position 1o do anything dbout this mitter since the Plant was designed
by NEERLand bl by DSIDC. - We, therefore, request you to advise va in
the mater

1 Monsovr the plant his bean designed by NEERI inelose co-opeision it
DRCC und later DSIDG has constructed i, The techmology wes aso
approved by you ind the Society had o role in cither adopting technology
or desigaing the plant. However, s por the dietions the Sovietcs wore
sntrusted th task of operating and mainsining the plant which all CETPs
are dischirging Lo thei best bilty. The experts in UT Delhi 1 abo of
opinion tha sincs -l is ot degaeil fof ‘DS it will rediro mujor
modiications a the Plant to control the THS, it excceds the it which
s o undet e contol o wy CETP,

1 view of the detiled submistions e sbove, Ve request you o

itk th harsh peaalty of s o sk guarantce and iling of

W reierie our fim conmiinent 1 rn e plant properly and <Mcicaly

ety i dscondance 1o the provisions of the vatous law of the land and hope

it e seques detatled above il it your uvorsbis consideiation.

CETP was inspested by team of DFCC officials on 150909

abservations made are 15 wde

a
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~ Ecqualization nk found filled with signifcant quantity of SV sludge.
- Aitators of equalivation tank found fnctionl.
Flow meter at nlet found opsrational
- ofintt efMlucan ot CETP found 6.0
- Sladge ticker is i bperadlonal however ok funciioning offstively.
~Toul intake of efMuent in month of June 09 -26,68 MLD,Augist-
21M1Dand Sepiermber.09 uplo(15.09.09)-1 IMLD
- Sludge stored n in shed & shulge holding tnk on pucea Nocr.
~“Toual @y of shudge stored (as per los book)- 231.0 MT.
CEIP was inspected by (eam of DPCC officiats on 211,09
observations mrade are as undor: o
There s uiciont amount of s filled i equalasion k.
Ot of tws vacuum flers one i found out of orde
- Shudge holding capacity has- fully occupicd s there s no other
pi in th plant, the shudge s being securmulated i cquilization
k.
- Scum found in receiving chamber and gri chamber.
- Outof ol 12 DMPs ad § ACKs, § DMFs snd 6 ACKS are in
operation
Al dated 26,1009 was received from CETE Sosicty regrdi
Of REPS. CETP has Jorwarded copy of letier 26.10,09 (0
breakdown of REPS in Tadli Industinl Area,

A per DPOC analysis repor, parametess hot complying with the preseribed
o, during following monds. e us widor:

o
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o i

e
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Sepientr 0 T i
Infet. 'l' Ouilet lnler Ouiler =
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Dcision of Cansent Manygement Committee (Orauge) wrt cases of MSW
Cell dated 19.01.2010;

e et fosactification of deficiencies observed diing the inspection and.
nonitorin of waste waler and sabission of Bank Guarantes as sought carlier

T

DPCC DPEC EnviDepit. Acd.fnst
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4P ie matter with MOE fo velaxaton of TS sandud, DSIG s
xtiaet NERRI for nocossary rectificaton of CETRN: which are s
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heF socites altgh the) s ook eoting the 133 oty
g S ave also ben asecple by DSHDG in e ot 10
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2 e il and punsp found faulty.
CETP was inspectod by tesnt of DPCC offisials: on
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= CETP found in aperaion.
2 One serof vacuan: fites & pump found fn
~ GDMIs 7 4 ACEs ate found in operation,
7 Total fntke of effucnt in July, 2009-14175 MLD, Aug.-2009-15376
ML & Sept., 2009-136,12 ML (Up 10.29” Sept).
AP was inspeeted by am of DPCC
observations made are as
esiling fs required in receiving chumber and grit hmber.
Large amount of sudge snd scumavig s observed i equlizati
‘Mesh cleaning before pre eblorination is rsquired.
_ ixesss foaming is observe i treated eflluent

300909 aund
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Consentstaton of CETP
o  opsrate sued on 27.07,2007 and valid upto 04.02.2010;

Decision of Consout Management Committes (VSW) in ity mesting dted
12052000
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Astion Taken Report
& T was s on 22.05.09
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solved throwgh deposit, We e all parameters prescribed o the desin lovel o
the plant o e Huve b successfl i the mler
CETP iy iuspected by team of DECC officials on 030609 ang
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- CITP found in operuion,
= Vo meterut ket ound Rintionsl,
Agittors (2 No. found operatiodht & wertors (4 No) sl fouad
opersion,
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installed by first 2% Wik of uly,
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Reglar leaning of scun in Acration holding tank 5 requito
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o of doficioncies nd subrmissan oF Bk Glatanicé s
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Action Taken Report .
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T
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= CETP found i operation,
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ks o 26,0609 und

O dosing pup alum) Tound undie e,
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"ty ot efflucn ake o month o Al 09-39,05 ML May 09-36.85
AL snd une 092627 11
Sludge store it Shed o e fgor
Vol gty of sy (us e o howk-53516 k)
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‘Sl handling practice e iproverment,
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29.09.0915 110865 K

BeCled by feam of DPCC offiils oh 16,1209 ang
e are i unider:

v Ty s (e for Uy Nogar and e fo SIDE Shods) ol
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Consent statis of CETP

Clomsent 0 uperute issued 0n 109,04 and Vlid sip 27,0707,
Applicd for Renewal of Consent on 11.04,07

L Jeter for rectification of defsiencie and subimission of Bk Guarantos as
songht casi
Action aken Report

A lettes was isied 0n 22,0509, o

CETI societs s submitsed eoply on 03,0600 andsubmised it e flow inetér
insalicd a inlot af GEIP i working vecy wellin st & prsst and ths ot
vens was found st the order muy due 10 o actionig, of Phantatthe e o

Regarding the TS purameters, it s already explaned in every leter that Wi
deiiciency i mentioned in tho NEURI ragort s well s Commissioner. of
Indhstcs minutes and we have: taken the pla with the same deficioncy from
the DSTIDG i the presence of Sh. Bhure LulJi. The groand waice 0f s aees
alresdy with high ‘DS and with. the  idition of chemicals the DS,
concentation ets higher

During the visit of Chief Secretary, Sh. Rakesh Mehta, The, probleim of T was.
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Votal Quy. of intake, ofueat in July, 09- 54.99 MLD, Aug;, 2009- 59,03
MLD, Sept, 2009- 32 MLD (Tous 154,92 MLD). Average flow — 172
MID.

CET was imsppccted by team of DPCC offcials on 17.12.09 i observaiion
made i 43 undes
- DMy and 3 AC
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