	S. No.
	Decision taken in CMC (MSW) meeting held on 28.02.08
	Decision taken in CMC(MSW) meeting held on 12.05.2009
	Decision taken in CMC(MSW) meeting held on 19.01.2010
	Decision taken in CMC(MSW) meeting held on 20.04.2010
	Decision taken in CMC(MSW) meeting held on 09.08.2010

	A
	Installation of CETP at Patparganj Indl Area:

As reported by DSIDC officials, untreated effluent of Patparganj Industrial Area is being treated by PWD. An inspection is to be done of Patparganj Industrial Area to check whether PWD is treating domestic waste, by SEE (MSWM). A letter may be sent to PWD in this regard, and inspection report submitted in file in 15 days.
Action by: MSWM Cell

Action Taken Report:
Letter has been issued to SE (PWD) on 25.03.05 (C/174).

The area has been inspected by SEE (MSW) along with officials from DSIIDC and Industry Department on 11.04.08. The inspection report has been forwarded and Chairman, DPCC desired that this may be discussed in CMC (MSW). A list of Industries who has applied for the consent under orange category in DPCC from Patparganj Indl. Area (PIA) was also sent to DSIIDC on 10.04.08. Sewerage plan of Patparganj Industrial Area has been received from PWD. Officials from concerned departments have been called in the meeting.

	MS to talk to commissioner of Industries and expedite the installation of CETP at Patparganj.
Action Taken Report:

Letter has been issued on 16.06.09 to the Commissioner of Industries, Govt. of NCT of Delhi.
No reply is received from industry deptt.
	Issue D.O. letter to COI from Chairman, DPCC seeking clarification regarding installation of CETP at Patparganj. 

Action Taken Report:
D.O. letter to COI from Chairman, DPCC, issued on 10.03.2010. Reply awaited.
	Issue reminder D.O. letter from MS, DPCC to COI, seeking clarification regarding installation of CETP at Patparganj.
Action Taken Report:
A  reminder D.O. letter from MS, DPCC to COI, seeking clarification regarding installation of CETP at Patparganj was issued on 02.06.2010 

	Issue D.O letter from Chairman, DPCC to COI, seeking clarification regarding installation of CETP at Patparganj.




	
	
	
	
	
	

	
	
	
	
	
	

	S. No
	Decision taken in CMC (MSW) meeting held on 28.02.08
	Decision taken in CMC(MSW) meeting held on 12.05.2009
	Decision taken in CMC(MSW) meeting held on 19.01.2010
	Decision taken in CMC(MSW) meeting held on 20.04.2010
	Decision taken in CMC(MSW) meeting held on 09.08.2010

	B (1)
	Removal of encroachments on the roads of WIA:

A letter will be sent to Sh. Naresh Kumar, Additional Commissioner, MCD, regarding removal of Encroachment on the roads of DSIDC sheds, so that work of conveyance system may be completed by DJB within two months. The copy of this letter will be sent to Managing Director, DSIDC by MS, immediately.

Action Taken Report:

Letter has been issued to Sh. Naresh Kumar, Additional Commissioner, MCD on 25.03.08 with a copy to MD, DSIIDC (C/177). Reply is awaited. Representative from MCD & DSIIDC called for the meeting.


	Sh. B. Kumar, SEE to visit the area and assess the time of encroachment with photographs and submit a report to chairman for D.O. letter to Commissioner, MCD.

Action Taken Report:

SEE (MSW & Planning) visited the area and photographs of the encroachments in the lanes of the DSIIDC sheds were taken. 
	 Issue reminder D.O letter from Chairman, DPCC to Commissioner, MCD with a copy to Pr. Secretary (UD) enclosing copies of previous letters.

Action Taken Report:

D.O. letter from Chairman, DPCC to Commissioner, MCD with a copy to Pr. Secretary (UD), issued on 23.03.2010. Reply awaited.
	Issue reminder D.O. letter from MS, DPCC to Commissioner, MCD with a copy to Pr. Secretary (UD) enclosing copies of previous letters.
Action Taken Report:

D.O. letter was issued on 02.06.2010. Reply awaited

	Issue reminder D.O. letter from MS, DPCC to Commissioner, MCD with a copy to Pr. Secretary (UD) enclosing copies of previous letters.




	S. No
	Decision taken in CMC (MSW) meeting held on 28.02.08
	Decision taken in CMC(MSW) meeting held on 12.05.2009
	Decision taken in CMC(MSW) meeting held on 19.01.2010
	Decision taken in CMC(MSW) meeting held on 20.04.2010
	Decision taken in CMC(MSW) meeting held on 09.08.2010

	C
	Removal of encroachment by DDA in WIA:
A letter will be issued to the new Vice Chairman, DDA by Chairman, DPCC, enclosing a copy of the previous letter. File to be submitted immediately. 

Action by: MSWM Cell
Action Taken Report:

Letter has been issued to VC, DDA on 21.04.08 (C/217). Reply is awaited. Representative from DDA called for the meeting.

	Send copies of all previous letters to Pr. Secretary, UD for taking necessary action. Copy also be sent to Pr. Secretary to LG.

Action Taken Report:
A letter was issued on 12.06.09. However, Action Taken Report is not received till date.
	Issue D.O. letter to VC, DDA from Chairman, DPCC with copy to Secretary to LG, GNCTD and CS, GNCTD giving reference and enclosing copy of previous reference to take measures to prevent dumping of waste water and MSW. 

Action Taken Report:
D.O. letter to VC, DDA from Chairman, DPCC with copy to Secretary to LG, GNCTD and CS, GNCTD, issued on 23.03.2010. Reply awaited.
	Issue reminder D.O. letter from MS, DPCC to VC, DDA with copy to Secretary to LG, GNCTD and CS, GNCTD giving reference and enclosing copy of previous reference to take measures to prevent dumping of waste water and MSW. 
Action Taken Report:
D.O. letter to VC, DDA from Chairman, DPCC with copy to P. Secretary to LG, GNCTD and CS, GNCTD, issued on 02.06.2010. Reply awaited

	Issue reminder D.O. letter from MS, DPCC to VC, DDA. 




	S. No
	Decision taken in CMC (MSW) meeting held on 28.02.08
	Decision taken in CMC(MSW) meeting held on 12.05.2009
	Decision taken in CMC(MSW) meeting held on 19.01.2010
	Decision taken in CMC(MSW) meeting held on 20.04.2010
	Decision taken in CMC(MSW) meeting held on 09.08.2010

	D
	Construction of roads in WIA:

MCD informed that all the work w.r.t. main circular roads & A Block in Wazirpur Industrial Area will be completed within the scheduled time of 6 months i.e. May, 2008. SEE may submit a monthly progress report on this in each CMC (MSW).

Action by: MSWM Cell

Action Taken Report:

Letter has been issued to DC (Rohini Zone), MCD on 25.03.08 (C/175). Reply is awaited. Representative from MCD called for the meeting.


	Put up a D.O. letter from Chairman, DPCC to Commissioner, MCD indicating their previous deadline and now revised deadline. 
Action Taken Report:  

A D.O. letter to Commissioner, MCD was issued on 21.07.09. No reply is received till date.
	Inspection be carried out to know the present status.

 Issue D.O. letter from Chairman, DPCC to Commissioner, MCD.

Action Taken Report:
D.O. letter from Chairman, DPCC to Commissioner, MCD issued on 10.03.2010. Reply awaited.
Unit was inspected.
	Issue a letter to Commissioner, MCD for completion of roads in WIA.

Action Taken Report:
D.O. letter from Chairman, DPCC to Commissioner, MCD with a copy to Pr. Secretary (UD), GNCTD issued on 02.06.2010. Letter from Commissioner, MCD was received on 21.06.2010 stating that MCD has prepared a comprehensive action plan to cover all roads of WIA and its funding position
	Issue a letter from Chairman, DPCC to Commissioner, MCD seeking status and time frame for completion of roads in WIA.


Agenda No. 2
Dr. Sen Nursing home Nallah STP  (2.2 MGD)

Consent Status 

Consent to Operate valid up to 25-02-08. 
Consent to operate (Renewal) was issued on 08.02.10 valid upto 12.05.11


Decision of Consent Management Committee (MSW) in its meeting dated 12.05.2009:

D.O. letter from Chairman, DPCC to CEO, DJB for not meeting the norms & other deficiencies. 

Action Taken Report
As decided in CMC (MSWM) D.O letters dated 04.06.09 were issued.  After examining the monthly analysis report for the month of Nov 2009 it was found that parameters are meeting the prescribed standards.   

Subsequent to the meeting of EPCA, a letter was issued to the unit regarding smell problem in Lodi Garden, as the treated water is supplied from this plant. No reply received.

Not applied for authorization under HWM Rules.
Decision of Consent Management Committee (Orange) w.r.t. cases of MSW Cell dated 19.01.2010:

Issue renewal of consent and ask the unit to apply for authorization under HWM Rules.

Action Taken Report
A letter dated 12.02.10 was received form the unit which stated that no Hazardous Waste is generated by the unit hence the authorization under HWM Rules is not required by it.

Consent to operate (Renewal) was issued on 08.02.10, in which the consentee was also asked to submit an application for authorization under HWM Rules. 
After examining the monthly analysis report for the months of Dec, 2009 to Feb 2010 it was found that parameters are meeting the prescribed standards.   

Decision of Consent Management Committee (Orange) w.r.t. cases of MSW Cell dated 20.04.2010:

No Action.

Action taken/ Status after the meeting held on 20.04.2010:

1. After examining the monthly analysis report for the months of April, May and June 2010 it was found that, parameter is not meeting the prescribed standards w.r.t BOD (35mg/L) for the month of June.
Decision of Consent Management Committee (Orange) wrt cases of MSW Cell dated 09.08.2010:

Issue letter to CEO, DJB  enclosing monthly monitoring reports for taking necessary action to comply with the norms, wherever the quality is not meeting the norms. 
Chairman
M. S.
      Member    Prof. S.K Gupta      SEE  EE
 AEE     
DPCC      DPCC      Env. Deptt.   Member (Acd. Inst) (MSW) MSWM Cell

Delhi Gate Nallah STP, (10 MLD)

Consent Status 

Consent to operate issued on 15.2.2007 & valid upto 11.10.09. 

Applied for Renewal of Consent on 03.02.10.

Consent to operate (Renewal) issued on 07.05.10 valid upto 02.02.2013
Decision of Consent Management Committee (MSW) in its meeting dated 12.05.2009 :

No action
Action Taken Report
After examining the monthly analysis report for the month of Nov 2009 it was found that parameters are meeting the prescribed standards.  
Decision of Consent Management Committee (Orange) w.r.t. cases of MSW Cell dated 19.01.2010:

Ask the unit to apply for renewal of consent.

Action Taken Report
As the unit has already applied for renewal of consent on 03.02.10 thus we have not sent any letter for renewal of consent.

After examining the monthly analysis report for the months of Dec 2009 to Feb 2010 it was found that parameters are meeting the prescribed standards.  
Decision of Consent Management Committee (Orange) w.r.t. cases of MSW Cell dated 20.04.2010:

Issue CTO(R).

Action taken/ Status after the meeting held on 20.04.2010:

1. Consent to Operate (Renewal) under Air and Water Acts issued on 07.05.2010.

2. After examining the monthly analysis report for the months of April, May     and June 2010 it was found that parameters are meeting the prescribed     standards for the month June.  
Decision of Consent Management Committee (Orange) wrt cases of MSW Cell dated 09.08.2010:

 No Action.

Chairman
M. S.
      Member    Prof. S.K Gupta      SEE  EE
 AEE     
DPCC      DPCC      Env. Deptt.   Member (Acd. Inst) (MSW) MSWM Cell

KONDLI STP , Ph-I (10 MGD)

Consent Status 

Consent to Operate issued on 20.08.2008 and valid upto 18.04.2009. 

Renewal of Consent to Operate issued on 08.02.2010 and valid upto 16.08.2012. 

Decision of Consent Management Committee (MSW) in its meeting dated 12.05.2009:

D.O. letter from Chairman, DPCC to CEO, DJB for not meeting the norms & other deficiencies. 
Action Taken Report
As decided in CMC (MSWM) D.O letters dated 04.06.09 was issued.  After examining the monthly analysis report for the month of Nov 2009 it was found that parameters are meeting the prescribed standards.   
Unit has applied for CTO( R)  on 17.08.09.
Decision of Consent Management Committee (Orange) w.r.t. cases of MSW Cell dated 19.01.2010:

Issue renewal of consent.

Action Taken Report
Renewal of Consent was issued on 08.02.10.

After examining the monthly analysis report for the months of Dec 2009 to  Feb, 2010 it was found that parameters are meeting the prescribed standards in Feb 2010 ; However parameters are not meeting the prescribed standards w.r.t Phosphate in Jan 2010 . The plant was found non operational due to maintenance in the month of Dec 2009

Decision of Consent Management Committee (Orange) w.r.t. cases of MSW Cell dated 20.04.2010:

No Action.

Action taken/ Status after the meeting held on 20.04.2010:

1. After examining the monthly analysis report for the months of April 2010 to June 2010 it was found that  parameters are not meeting the prescribed standards w.r.t TSS (64 mg/L) for the month of June.
Decision of Consent Management Committee (Orange) wrt cases of MSW Cell dated 09.08.2010:

Issue letter to CEO, DJB  enclosing monthly monitoring reports for taking necessary action to comply with the norms, wherever the quality is not meeting the norms. 
Chairman
M. S.
      Member    Prof. S.K Gupta      SEE  EE
 AEE     
DPCC      DPCC      Env. Deptt.   Member (Acd. Inst) (MSW) MSWM Cell

KONDLI STP, Ph-II  (10 MGD)

Consent Status 

Consent to Operate issued on 20.08.2008 and valid upto 18.04.2009. 
Consent to Operate issued on 08.02.2010 and valid upto 16.08.2012. 
Decision of Consent Management Committee (MSW) in its meeting dated 12.05.2009:

D.O. letter from Chairman, DPCC to CEO, DJB for not meeting the norms & other deficiencies. 
Action Taken Report

As decided in CMC (MSWM) D.O letters dated 04.06.09 was issued. After examining the monthly analysis report for the month of Nov 2009 it was found that parameters are not meeting the prescribed standards.   
Unit has applied for CTO (R)  on 17.08.09.
Decision of Consent Management Committee (Orange) w.r.t. cases of MSW Cell dated 19.01.2010:

Issue renewal of consent.

Action Taken Report
Renewal of Consent to operate was issued on 08.02.10
After examining the monthly analysis report for the months of Dec 2009 to Feb 2010 it was found that parameters are not meeting the prescribed standards w.r.t Phosphate in Feb 2010 ; However the it was found that  parameters are  meeting the prescribed standards  for the months of Dec 2009 and Jan 2010.
Decision of Consent Management Committee (Orange) w.r.t. cases of MSW Cell dated 20.04.2010:
Issue letter for rectification of deficiencies observed after analysis of treated effluent.
Action taken/ Status after the meeting held on 20.04.2010:

1. Letter Issued for rectification of deficiencies observed after analysis of treated effluent on 24.05.10.

2. For the month of June 2010 After examining the monthly analysis report for the months of April 2010 to June 2010 it was found that parameters are meeting the prescribed standards for the month of June.
Decision of Consent Management Committee (Orange) wrt cases of MSW Cell dated 09.08.2010:

No Action.

Chairman
M. S.
      Member    Prof. S.K Gupta      SEE  EE
 AEE     
DPCC      DPCC      Env. Deptt.   Member (Acd. Inst) (MSW) MSWM Cell

KONDLI STP, Ph-III , (10 MGD)
Consent Status 

Consent to Operate issued on 22.09.05 and valid upto 02-12-07. Renewal of Consent issued on 20.08.2008 & valid upto 02.12.2010.
Decision of Consent Management Committee (MSW) in its meeting dated 12.05.2009 :

No action

Action Taken Report
After examining the monthly analysis report for the month of Nov 2009 it was found that parameters are meeting the prescribed standards.   

Decision of Consent Management Committee (Orange) w.r.t. cases of MSW Cell dated 19.01.2010:

No action, as the consent is valid.

Action Taken Report
After examining the monthly analysis report for the months of Dec 2009 to Feb 2010 it was found that parameters are not meeting the prescribed standards w.r.t phosphate in Feb 2010. However, it is found that parameters are meeting the prescribed standards in Jan 2010 and Dec 2009.

Decision of Consent Management Committee (Orange) w.r.t. cases of MSW Cell dated 20.04.2010:

Issue letter for rectification of deficiencies observed after analysis of treated effluent.
Action taken/ Status after the meeting held on 20.04.2010:

1. Letter Issued for rectification of deficiencies observed after analysis of treated effluent on 26.05.10.

2. In response to our letter DJB has not submitted any reply.

3. After examining the monthly analysis report for the months of April, May and June 2010 was found that parameters are within the prescribed standards for the month of June.
Decision of Consent Management Committee (Orange) wrt cases of MSW Cell dated 09.08.2010:

No Action.
Chairman
M. S.
      Member    Prof. S.K Gupta      SEE  EE
 AEE     
DPCC      DPCC      Env. Deptt.   Member (Acd. Inst) (MSW) MSWM Cell

Nehru Vihar, Oxidation Pond STP (13.5 MGD)
Consent Status 
Consent issued on21.09.05 and valid up to 28.11.07. 
Consent to operate (renewal) issued on 08.02.10 and valid up to 24.10.2010

Decision of Consent Management Committee (MSW) in its meeting dated 12.05.2009 :

No action

Action Taken Report
After examining the monthly analysis report for the month of Nov 2009 it was found that parameters are meeting the prescribed standards.   

Decision of Consent Management Committee (Orange) w.r.t. cases of MSW Cell dated 19.01.2010:

Issue renewal of consent.

Action Taken Report
1. Renewal of Consent to operate was issued on 08.02.10.

2. After examining the monthly analysis report for the months of Dec 2009 to Feb 2010 it was found that parameters are meeting the prescribed standards.   

Decision of Consent Management Committee (Orange) w.r.t. cases of MSW Cell dated 20.04.2010:
No Action.

Action taken/ Status after the meeting held on 20.04.2010:

1. After examining the monthly analysis report for the months of April May and June 2010.  it was found that parameters are meeting the prescribed standards for the month of June. 
Decision of Consent Management Committee (Orange) wrt cases of MSW Cell dated 09.08.2010:

No Action.
Chairman
M. S.
      Member    Prof. S.K Gupta      SEE  EE
 AEE     
DPCC      DPCC      Env. Deptt.   Member (Acd. Inst) (MSW) MSWM Cell

Keshopur STP (60 MGD (40+20)

Consent Status 

Consent to Operate issued on 21.09.05 and valid upto 24-09-07 for 60 MGD. 

Renewal of Consent to operate issued on 08.02.10 and valid upto 06.01.11. 

Decision of Consent Management Committee (MSW) in its meeting dated 12.05.2009:

D.O. letter from Chairman, DPCC to CEO, DJB for not meeting the norms & other deficiencies. 

Action Taken Report

As decided in the CMC (MSWM) D.O letters dated 04.06.09 was issued.  After examining the monthly analysis report for the month of Nov 2009 it was found that parameters are not meeting the prescribed standards, w.r.t TSS, BOD and Phosphate.   

Decision of Consent Management Committee (Orange) w.r.t cases of MSW Cell dated 19.01.2010:

Issue renewal of consent.

Also, issue letter to DJB to rectify the deficiencies to comply with the norms laid down.

Action Taken Report

Renewal of Consent was issued on 08.02.10 

A letter dated 15.02.10 was issued to DJB to rectify the deficiencies to comply with the norms laid down but no reply has been received so far.

After examining the monthly analysis report for the months of Dec 2009 to Feb 2010 it was found that both plants were under maintenance and were found non- operational for the month of Jan 2010 to Feb 2010. 

However for the month of Dec 2009 it was found that parameters are not meeting the prescribed standards w.r.t TSS, BOD and Phosphate.  
Decision of Consent Management Committee (Orange) w.r.t cases of MSW Cell dated 20.04.2010:

Issue letter for rectification of deficiencies observed after analysis of treated effluent.
Action taken/ Status after the meeting held on 20.04.2010:

1. Letter Issued for rectification of deficiencies observed after analysis of treated effluent on 26.05.10

2. In response to our letter DJB has not submitted any reply.

3. After Examining the monthly analysis report for the months of April May and June 2010 it was found that the plant was found non operational due to plant rehabilitation for the month of June.
Decision of Consent Management Committee (Orange) wrt cases of MSW Cell dated 09.08.2010:

 No Action.

Chairman
M. S.
      Member    Prof. S.K Gupta      SEE  EE
 AEE     
DPCC      DPCC      Env. Deptt.   Member (Acd. Inst) (MSW) MSWM Cell

Mehrauli  STP (5 MGD)

Consent Status 

Consent issued on 20.03.2007 & valid upto 15.12.09. 

Not Applied for Renewal of Consent.
Decision of Consent Management Committee (MSW) in its meeting dated 12.05.2009 :

No action

Action Taken Report
After examining the monthly analysis report for the month of Nov 2009 it was found that parameters are meeting the prescribed standards.  
Decision of Consent Management Committee (Orange) w.r.t. cases of MSW Cell dated 19.01.2010:

Issue letter seeking application for renewal of consent.

Action Taken Report
A letter dated 12.02.10 has been issued, seeking application for renewal of consent; however no reply has been received so far.

After examining the monthly analysis report for the month of Dec 2009 it was found that parameters are not meeting the prescribed standards w.r.t TSS.
However the monthly analysis report for the months of Jan 2010 to Feb 2010 shows that parameters are meeting the prescribed standards. 

Decision of Consent Management Committee (Orange) w.r.t. cases of MSW Cell dated 20.04.2010:
Issue letter to the unit seeking application for CTO(R), with a copy to CEO, DJB.
Action taken/ Status after the meeting held on 20.04.2010:

1. Letter Issued to the unit seeking application for CTO(R), with a copy to CEO, DJB on 20.05.10

2. After examining the monthly analysis report for the month of April, May and June 2010 was found that, the parameters are meeting the prescribed standards for the month of June. 
3. Not applied for consent to operate.
Decision of Consent Management Committee (Orange) wrt cases of MSW Cell dated 09.08.2010:
Issue reminder seeking application for renewal of consent to operate. 

Chairman
M. S.
      Member    Prof. S.K Gupta      SEE  EE
 AEE     
DPCC      DPCC      Env. Deptt.   Member (Acd. Inst) (MSW) MSWM Cell

                                Yamuna Vihar Phase –I STP (10 MGD)

Consent Status 

Consent to Operate issued on 28.2.2007 and valid upto 16.11.07. 

Renewal of Consent issued on 20.08.2008 valid upto 16.11.2010.
Decision of Consent Management Committee (MSW) in its meeting dated 12.05.2009 :

No action

Action Taken Report
After examining the monthly analysis report for the month of Nov 2009 it was found that parameters are meeting the prescribed standards.   
Decision of Consent Management Committee (Orange) w.r.t cases of MSW Cell dated 19.01.2010:

No action, as the consent is valid.

Action Taken Report
After examining the monthly analysis report for the months Dec 2009 of Feb 2010 it was found that parameters are meeting the prescribed standards for all the three months.  

Decision of Consent Management Committee (Orange) w.r.t cases of MSW Cell dated 20.04.2010:

No Action.

Action taken/ Status after the meeting held on 20.04.2010:

1. After examining the monthly analysis report for the months of April 2010 to June 2010, it was found that parameters are meeting the prescribed standards for the month of June.  

Decision of Consent Management Committee (Orange) wrt cases of MSW Cell dated 09.08.2010:

No Action.
Chairman
M. S.
      Member    Prof. S.K Gupta      SEE  EE
 AEE     
DPCC      DPCC      Env. Deptt.   Member (Acd. Inst) (MSW) MSWM Cell

Yamuna Vihar Phase –II STP  (10 MGD)

Consent Status 

Consent to operate issued on 28.2.2007 valid upto 28.12.09. 

Renewal of consent issued on 08.02.10 valid up to 13.12.2012
Decision of Consent Management Committee (MSW) in its meeting dated 12.05.2009:

D.O. letter from Chairman, DPCC to CEO, DJB for not meeting the norms & other deficiencies. 

Action Taken Report

As decided in CMC (MSWM) D.O letters dated 04.06.09 was issued. After examining the monthly analysis report for the month of Nov 2009 it was found that parameters are meeting the prescribed standards.   
Applied for Renewal of Consent on 14.12.09.
Decision of Consent Management Committee (Orange) w.r.t. cases of MSW Cell dated 19.01.2010:

Issue renewal of consent.

Action Taken Report

As decided in CMC (MSW) renewal of consent has issued on 08.02.10. 

After examining the monthly analysis report for the months Dec 2009 to Feb 2010 it was found that parameters are meeting the prescribed standards in the months of Jan to Feb 2010. However parameters are not meeting the prescribed standards w.r.t Phosphate in Plant 2 in Dec 2009  
Decision of Consent Management Committee (Orange) w.r.t. cases of MSW Cell dated 20.04.10

No Action.
Action taken/ Status after the meeting held on 20.04.2010:

1. After examining the monthly analysis report for the months April 2010 to June 2010 it was found that, parameters are meeting the prescribed standards for the month of June. 
Decision of Consent Management Committee (Orange) wrt cases of MSW Cell dated 09.08.2010:

No Action.
Chairman
M. S.
      Member    Prof. S.K Gupta      SEE  EE
 AEE     
DPCC      DPCC      Env. Deptt.   Member (Acd. Inst) (MSW) MSWM Cell

Rithala STP– Ph-I, (40 MGD)
Consent Status 

Consent to Operate valid upto 04.05.06. 
Applied for Renewal of Consent on 29.06.2006 and again on 01.07.09.

Renewal of Consent to Operate was issued on 08.02.10 valid upto 30.06.12. 

Decision of Consent Management Committee (MSW) in its meeting dated 12.05.2009 :

No action

Action Taken Report

After examining the monthly analysis report for the month of Nov 2009 it was found that parameters are meeting the prescribed standards.  
Applied for Renewal of Consent on 29.06.2006 and again on 01.07.09.
Decision of Consent Management Committee (Orange) w.r.t. cases of MSW Cell dated 19.01.2010:

Issue renewal of consent.

Action Taken Report

Renewal of Consent to Operate has been issued on 08.02.10.

After examining the monthly analysis report for the months of Dec 2009   to Feb 2010 it was found that parameters are not meeting the prescribed standards w.r.t. TSS in Feb 2010. However, it was found that parameters are meeting the prescribed standards for the months of Jan 2010 and Dec 2009.
Decision of Consent Management Committee (Orange) w.r.t. cases of MSW Cell dated 20.04.2010:
Issue letter for rectification of deficiencies observed after analysis of treated effluent.
Action taken/ Status after the meeting held on 20.04.2010:

1. Letter Issued for rectification of deficiencies observed after analysis of treated effluent on 24.05.10.

2. In response to our letter DJB has not submitted any reply.

3. After examining the monthly analysis report for the months of April, May and June 2010 it was found that, parameters are meeting the prescribed standards for the month of June.
 Decision of Consent Management Committee (Orange) wrt cases of MSW Cell dated 09.08.2010:

No Action.
Chairman
M. S.
      Member    Prof. S.K Gupta      SEE  EE
 AEE     
DPCC      DPCC      Env. Deptt.   Member (Acd. Inst) (MSW) MSWM Cell

Rithala  STP– Ph-II, ( 40 MGD)

Consent Status 

Previous Consent valid upto 21.01.06. Applied for renewal of consent on 20.01.2006. 
Not  applied for renewal of consent.

Decision of Consent Management Committee (MSW) in its meeting dated 12.05.2009 :

No action

Action Taken Report
After examining the monthly analysis report for the month of Nov 2009 it was found that parameters are meeting the prescribed standards.   

Decision of Consent Management Committee (Orange) w.r.t. cases of MSW Cell dated 19.01.2010:

Issue letter seeking application for renewal of consent.

Action Taken Report
A letter dated 12.02.10 has been issued seeking application for renewal of consent. However, no reply has been received so far.

After examining the monthly analysis report for the months of Dec 2009 to Feb 2010 it was found that parameters are not meeting the prescribed standards w.r.t. Phosphate in Feb 2010 and Dec 2009 ; However  it was found that parameters are  meeting the prescribed standards  in Jan 2010.
Decision of Consent Management Committee (Orange) w.r.t. cases of MSW Cell dated 20.04.2010:

Issue letter for rectification of deficiencies observed after analysis of treated effluent and also seek application for CTO(R).
Action taken/ Status after the meeting held on 20.04.2010:

1. Letter Issued for rectification of deficiencies observed after analysis of treated effluent and also seeking application for Consent to Operate (Renewal) under Air and Water Acts on 24.05.10.

2. In response to our letter DJB has not submitted any reply.

3. After examining the monthly analysis report for the months of April 2010 to June 2010 it was found that, parameters are meeting the prescribed standards for the month of June.
4. Not applied for renewal of consent.
Decision of  Consent Management Committee (Orange) wrt cases of MSW Cell dated 09.08.2010:

Issue reminder seeking application for renewal of consent to operate.
Chairman
M. S.
      Member    Prof. S.K Gupta      SEE  EE
 AEE     
DPCC      DPCC      Env. Deptt.   Member (Acd. Inst) (MSW) MSWM Cell

Papankalan STP ( 20 MGD)
Consent Status 

Consent issued on 25.08.2008 valid upto 06.01.2011.
Decision of Consent Management Committee (MSW) in its meeting dated 12.05.2009:

D.O. letter from Chairman, DPCC to CEO, DJB for not meeting the norms & other deficiencies. 

Action Taken Report
As decided in CMC (MSWM) D.O letters dated 04.06.09 was issued. After examining the monthly analysis report for the month of Nov 2009 it was found that parameters are meeting the prescribed standards.   

Decision of Consent Management Committee (Orange) w.r.t. cases of MSW Cell dated 19.01.2010:

No action, as consent is valid.

Action Taken Report
After examining the monthly analysis report for the months of Dec 2009 to Feb, 2010 it was found that parameters are meeting the prescribed standards.   

Decision of Consent Management Committee (Orange) w.r.t. cases of MSW Cell dated 20.04.2010:

No Action.

Action taken/ Status after the meeting held on 20.04.2010:

1. After examining the monthly analysis report for the months of April, May and June, 2010 it was found that, parameters are meeting the prescribed standards for the month of June. 
Decision of Consent Management Committee (Orange) wrt cases of MSW Cell dated 09.08.2010:

No Action.
Chairman
M. S.
      Member    Prof. S.K Gupta      SEE  EE
 AEE     
DPCC      DPCC      Env. Deptt.   Member (Acd. Inst) (MSW) MSWM Cell

Najafgarh STP, ( 5 MGD)
Consent Status 

Consent issued on 25.08.2008 valid upto 06.01.2011
Decision of Consent Management Committee (MSW) in its meeting dated 12.05.2009 :

D.O. Letter from Chairman, DPCC to CEO, DJB for not meeting the norms & other deficiencies. 

Action Taken Report

As decided in CMC (MSWM) D.O letters dated 04.06.09 was issued. After examining the monthly analysis report for the month of Nov 2009 it was found that parameters are meeting the prescribed standards.   

Decision of Consent Management Committee (Orange) w.r.t. cases of MSW Cell dated 19.01.2010:

No action as consent is valid.

Action Taken Report

After examining the monthly analysis report for the months of Dec 2009 to Feb, 2010 it was found that parameters are meeting the prescribed standards.   

Decision of Consent Management Committee (Orange) w.r.t. cases of MSW Cell dated 20.04.2010:

No Action.

Action taken/ Status after the meeting held on 20.04.2010:

1. After examining the monthly analysis report for the months of April, May and June 2010 it was found that parameters are meeting the prescribed standards for the month of June. 
Decision of Consent Management Committee (Orange) wrt cases of MSW Cell dated 09.08.2010:

No Action.
Chairman
M. S.
      Member    Prof. S.K Gupta      SEE  EE
 AEE     
DPCC      DPCC      Env. Deptt.   Member (Acd. Inst) (MSW) MSWM Cell

Nilothi STP (40 MGD)

Consent Status 

 Consent to Operate expired in 02-12-06. 
 Consent issued on 08.02.2010 valid upto 25.11.2010

Decision of Consent Management Committee (MSW) in its meeting dated 12.05.2009 :

No action

Action Taken Report

After examining the monthly analysis report for the month of Nov 2009 it was found that parameters are meeting the prescribed standards.   

Decision of Consent Management Committee (Orange) w.r.t. cases of MSW Cell dated 19.01.2010:

Issue renewal of consent.

Action Taken Report

Renewal of consent has been issued on 08.02.10.

 Examination of the monthly analysis report for the months of Dec 2009 to Jan 2010 shows that the unit’s parameters are meeting the prescribed standards.   
Monthly analysis reports for the month of Feb 2010 shows that, for the unit parameters are not meeting the prescribed standards w.r.t. TSS.    
Decision of Consent Management Committee (Orange) w.r.t. cases of MSW Cell dated 20.04.2010:
Issue letter for rectification of deficiencies observed after analysis of treated effluent.
Action taken/ Status after the meeting held on 20.04.2010:

1. Letter Issued for rectification of deficiencies observed after analysis of treated effluent on 24.05.10.

2. In response to our letter DJB has not submitted any reply.

3. Monthly analysis reports for the month of April, May and June 2010 shows that, the parameters are meeting the prescribed standards for the month of June.
Decision of Consent Management Committee (Orange) wrt cases of MSW Cell dated 09.08.2010:

No Action.
Chairman
M. S.
      Member    Prof. S.K Gupta      SEE  EE
 AEE     
DPCC      DPCC      Env. Deptt.   Member (Acd. Inst) (MSW) MSWM Cell

 Rohini STP (15 MGD)

Consent Status 

Applied for Consent to operate on 01-05-07. 

Consent to Operate issued on 08.02.2010 valid upto 30.04.2010
Not applied for renewal of consent to operate.

Decision of Consent Management Committee (MSW) in its meeting dated 12.05.2009:

D.O. letter from Chairman, DPCC to CEO, DJB for not meeting the norms & other deficiencies. 

Action Taken Report

As decided in CMC (MSWM) D.O letters dated 04.06.09 was issued. After examining the monthly analysis reports for the month of Aug., to Nov., 2009 it has been observed that during the time of monitoring STP found non-operational since March-2009.
Decision of Consent Management Committee (Orange) w.r.t. cases of MSW Cell dated 19.01.2010:
Issue Consent to operate.

Action Taken Report

Consent to operate was issued on 08.02.10 

After examining the monthly analysis reports for the months of Dec, 2009 to Feb 2010, it has been observed that during the time of monitoring STP was found non-operational due to no flow.

Decision of Consent Management Committee (Orange) w.r.t. cases of MSW Cell dated 20.04.2010:

Issue letter seeking application for CTO(R).

Issue an advisory letter to CEO, DJB regarding treatment of waste water from Rohini drain. 

Action taken/ Status after the meeting held on 20.04.2010:

1. Letter seeking application for Consent To Operate (Renewal) under Air and Water Acts issued on 03.05.10.

2. In response to our letter DJB has submitted a reply wherein it is requesting to extend the consent for further 3 years as various parameters since then are unchanged.

3. Not applied for renewal of consent to operate.
4. After examining the monthly analysis reports for the months of April 2010, May and June 2010, it was found that, STP was found non-operational for the month of June.
Decision of Consent Management Committee (Orange) wrt cases of MSW Cell dated 09.08.2010:

Issue a DO letter to CEO (DJB) to look into the matter as plant is non-operational.
Chairman
M. S.
      Member    Prof. S.K Gupta      SEE  EE
 AEE     
DPCC      DPCC      Env. Deptt.   Member (Acd. Inst) (MSW) MSWM Cell

Coronation Pillar STP (40 MGD)

Consent Status

Consent to operate issued on 28.2.2007 valid upto 12.03.2009. 

Renewal of Consent to operate issued on 08.02.2010 valid upto 11.03.2012. 

Decision of Consent Management Committee (MSW) in its meeting dated 12.05.2009 :

No action

Action Taken Report
After examining the monthly analysis report for the month of Nov 2009 it was found that parameters are meeting the prescribed standards.   

Old clarifier found non operational during inspection on 09.11.2009 by the officials of lab.

Applied for renewal on 12.03.2009.
Decision of Consent Management Committee (Orange) w.r.t. cases of MSW Cell dated 19.01.2010:

Issue renewal of consent.

Action Taken Report
Renewal of Consent to operate has been issued on 08.02.2010. 

After examining the monthly analysis report for the months Dec 2009  to  Feb 2010 it was found that for the month of Feb 2010  parameters are meeting the prescribed standards for Ph-I, II & Old Clarifier however, parameters are not meeting the prescribed standards w.r.t  TSS, BOD, Phosphate for Ph-III . 
In Dec 2009 and Jan 2010 for  Phase I, II and III parameters are meeting the prescribed standards, However the Old Clarifier unit was found Non operational .    

Decision of Consent Management Committee (Orange) w.r.t. cases of MSW Cell dated 20.04.2010:

Issue letter for rectification of deficiencies observed after analysis of treated effluent.

Action taken/ Status after the meeting held on 20.04.2010:

1. Letter for rectification of deficiencies observed after analysis of treated effluent issued on 26.05.10.

2. In response to our letter DJB has not submitted any reply.

3. After examining the monthly analysis report for the months April ,May and June  2010 it was found that for Phase I,II and Phase III all parameters are within the prescribed standards , However the Old Clarifier unit was found Non-operational at the time of inspection due to plant rehabilitation for the month of June.
Decision of Consent Management Committee (Orange) wrt cases of MSW Cell dated 09.08.2010:

No Action.
Chairman
M. S.
      Member    Prof. S.K Gupta      SEE  EE
 AEE     DPCC      DPCC      Env. Deptt.   Member (Acd. Inst) (MSW) MSWM Cell

Vasant Kunj STP (5.2 MGD)

Consent Status 

Consent to Operate issued on 22.09.05 valid up to 11-12-07. 

 Renewal of Consent to Operate issued on 08.02.10 valid up to 28-01-11. 
Decision of Consent Management Committee (MSW) in its meeting dated 12.05.2009 :

No action.

Action Taken Report
After examining the monthly analysis report for the month of Nov 2009 it was found that parameters are meeting the prescribed standards in case of plant 1 but not by Plant II w.r.t Po4.   

Decision of Consent Management Committee (Orange) w.r.t. cases of MSW Cell dated 19.01.2010:

Issue renewal of consent.

Also issue a letter for rectification of deficiencies to comply with the norms laid down.

Action Taken Report
 A letter dated 15.02.10 has been issued for rectification of deficiencies to comply with the norms laid down but no reply has been received. 

 Consent to Operate (Renewal) issued on 08.02.10. 

After examining the monthly analysis report for the months Dec 2009  to  Feb, 2010 it was found that in Feb 2010 parameters are meeting the prescribed standards in case of plant 1 but not by Plant II w.r.t Po4.  
In Jan 2010, parameters are meeting the prescribed standards in case of plant II but not by Plant I w.r.t Po4.  
In Dec 2009 it was found  parameters are meeting the prescribed standards.
CPCB has issued directions under section 18(1) (b) of the Water (Prevention and Control of Pollution) Act 1974 in the matter of discharge of treated sewage at Vasant Kunj STP to the lake on the District Park, Chaudhary Harsukh Marg, Safdarjung Enclave.

Decision of Consent Management Committee (Orange) w.r.t. cases of MSW Cell dated 20.04.2010:

Issue letter for rectification of deficiencies observed after analysis of treated effluent.
Action taken/ Status after the meeting held on 20.04.2010:

1. Letter for rectification of deficiencies observed after analysis of treated effluent issued on 26.05.10.

2. In response to our letter DJB has not submitted any reply.

3. After examining the monthly analysis report for the months April ,May  and June 2010 it was found that for plant I parameters are meeting the prescribed standards while for plant II parameters are not meeting the prescribed standards w.r.t Phosphate(6.9 mg/L) for the month of June. 
Decision of Consent Management Committee (Orange) wrt cases of MSW Cell dated 09.08.2010:

Issue letter to CEO, DJB  enclosing monthly monitoring reports for taking necessary action to comply with the norms, wherever the quality is not meeting the norms. 
Chairman
M. S.
      Member    Prof. S.K Gupta      SEE  EE
 AEE     
DPCC      DPCC      Env. Deptt.   Member (Acd. Inst) (MSW) MSWM Cell

Narela STP (10 MGD)

Consent Status 

Consent to Operate valid upto 14.01.2005. Renewal of Consent issued on 7-11-2007 valid up to 13-1-2008. 
Applied for renewal of consent on 3.01.2008, valid upto 13.01.2011.
Decision of Consent Management Committee (MSW) in its meeting dated 12.05.2009 :

D.O. Letter from Chairman, DPCC to CEO, DJB for not meeting the norms & other deficiencies.

Action Taken Report
As decided in CMC (MSWM) D.O letters dated 04.06.09 was issued.  After examining the monthly analysis report for the month of Nov 2009 it was found that parameters are meeting the prescribed standards.   

Decision of Consent Management Committee (Orange) w.r.t. cases of MSW Cell dated 19.01.2010:

Issue renewal of consent.

Action Taken Report
Renewal of consent was issued on 13.08.08, it is valid upto 13.01.2011.

 After examining the monthly analysis report for the month of Feb 2010 (as on 04.02.10) it was found that parameters are not meeting the prescribed standard w.r.t. Phosphate.   
However, another analysis report in the month of Feb 2010 (as on 22.02.10) shows that the parameters are meeting the prescribed standards.   

Decision of Consent Management Committee (Orange) w.r.t. cases of MSW Cell dated 20.04.2010:

No Action.

Action taken/ Status after the meeting held on 20.04.2010:

1. After examining the monthly analysis report for the months April ,May  and June 2010 it was found that parameters are meeting the prescribed standards for the month of June. 
Decision of Consent Management Committee (Orange) wrt cases of MSW Cell dated 09.08.2010:

No Action.
Chairman
M. S.
      Member    Prof. S.K Gupta      SEE  EE
 AEE     
DPCC      DPCC      Env. Deptt.   Member (Acd. Inst) (MSW) MSWM Cell

OKHLA STP , [Phase- I, II, III & IV, (12+30+37+45), Total 124 MGD)
Consent Status 

Consent to operate was granted by CPCB on 23.01.1987 (valid upto 31.12.88), 

Applied on 03.04.1998 issued by DPCC on 14.06.99 (valid upto 31.05.2000), 

Applied on 10.05.2000 issued by DPCC on 18.04.2001 (valid upto 17.04.2002).

Applied on 08.10.2002 issued by DPCC on 20.01.2004 (valid upto 17.04.2005).

Applied for renewal on 10.03.2005 for Phase I, II, III & IV Plant (124 MGD)
Consent is renewed for all the four plants on 03.06.2008 & valid upto 09.03.2011.

Decision of Consent Management Committee (MSW) in its meeting dated 12.05.2009 :

D.O. Letter from Chairman, DPCC to CEO, DJB for not meeting the norms & other deficiencies.

Action Taken Report
As decided in CMC (MSWM) D.O letters dated 04.06.09 was issued. After examining the monthly analysis report for the month of Nov 2009 it was found that parameters are meeting the prescribed standards in case of plants 1,2 and 3. Plant 4 is not meeting the norm laid down for Po4.  

Decision of Consent Management Committee (Orange) w.r.t. cases of MSW Cell dated 19.01.2010:

Issue letter to DJB to rectify the deficiencies to comply with the norms laid down as PO4 is not within the limit.

Action Taken Report
A letter dated 12.02.10 was issued to DJB to rectify the deficiencies to comply with the norms laid down as PO4 is not within the limit, but no reply has been received so far.

However, the monthly analysis reports of Dec 2010 show that parameters are meeting the prescribed standards in case of plants 1,4; Plant 3 is not meeting the norm laid down for Po4 and Plant 2 is not meeting the standards of TSS, BOD  and Phosphate.
The monthly analysis report for the month of Feb 2010 show that parameters are meeting the prescribed standards in case of Plant 1 ; Not meeting the standards w.r.t phosphate for plant 2 and 4 : Not meeting the standards w.r.t BOD and Phosphate in Plant 3
Decision of Consent Management Committee (Orange) w.r.t. cases of MSW Cell dated 20.04.2010:
Issue letter for rectification of deficiencies observed after analysis of treated effluent.
Action taken/ Status after the meeting held on 20.04.2010:

1. Letter for rectification of deficiencies observed after analysis of treated effluent issued on 26.05.10.

2. In response to our letter DJB has not submitted any reply.
3. After examining the monthly analysis report for the months April ,May  and June 2010 it was found that in case of Plant IV, the parameter is not meeting the prescribed standards w.r.t Phosphate (5.3mg/L) for the month of June.
Decision of Consent Management Committee (Orange) wrt cases of MSW Cell dated 09.08.2010:

Issue letter to CEO, DJB  enclosing monthly monitoring reports for taking necessary action to comply with the norms, wherever the quality is not meeting the norms. 
Chairman
M. S.
      Member    Prof. S.K Gupta      SEE  EE
 AEE     
DPCC      DPCC      Env. Deptt.   Member (Acd. Inst) (MSW) MSWM Cell

Okhla STP,Phase-V (16 MGD)

Consent Status 

Consent is renewed on 29.05.2008 & valid upto 16.12.2010. 
Decision of Consent Management Committee (MSW) in its meeting dated 12.05.2009 :
D.O. Letter from Chairman, DPCC to CEO, DJB for not meeting the norms & other deficiencies.

Action Taken Report
As decided in CMC (MSWM) D.O letters dated 04.06.09 was issued.  
After examining the monthly analysis report for the month of Nov 2009 found that STP is non-operational. 

Decision of Consent Management Committee (Orange) w.r.t. cases of MSW Cell dated 19.01.2010:

No action, as consent is valid.

Action Taken Report
After examining the monthly analysis report for the months of Dec 2009 and  Feb 2010 it was found that, parameters are not meeting the prescribed standards w.r.t phosphate.   
Decision of Consent Management Committee (Orange) w.r.t. cases of MSW Cell dated 20.04.2010:

Issue letter for rectification of deficiencies observed after analysis of treated effluent.
Action taken/ Status after the meeting held on 20.04.2010:

1. Letter for rectification of deficiencies observed after analysis of treated effluent issued on 24.05.10.
2. In response to our letter DJB has not submitted any reply.
3. After examining the monthly analysis report for the months of April , May and June 2010 it was found that, parameters are not meeting the prescribed standards w.r.t phosphate (5.3 mg/L) for the month of June.
Decision of Consent Management Committee (Orange) wrt cases of MSW Cell dated 09.08.2010:

Issue letter to CEO, DJB  enclosing monthly monitoring reports for taking necessary action to comply with the norms, wherever the quality is not meeting the norms. 
Chairman
M. S.
      Member    Prof. S.K Gupta      SEE  EE
 AEE     
DPCC      DPCC      Env. Deptt.   Member (Acd. Inst) (MSW) MSWM Cell

STP at C-DOT Campus, Chattarpur, Mehrauli, New Delhi-30. (125 KLD)

Consent Status 

Consent to operate expired on 12.4.2007.

Renewal of Consent issued on 03.06.2008 valid upto 10.03.2011.
Decision of Consent Management Committee (MSW) in its meeting dated 12.05.2009 :

No action. 

Action Taken Report
After examining the monthly analysis report for the month of Nov 2009 it was found that parameters are meeting the prescribed standards.   

Decision of Consent Management Committee (Orange) w.r.t. cases of MSW Cell dated 19.01.2010:

Ask the unit to apply for renewal of consent as its validity is going to expire on 10.3.2010.

Action Taken Report
The letter for renewal of consent could not be issued as actual date of expiry is 10.03.11 but due to typographical mistake the validity was written as10.03.2010.

 After examining the monthly analysis report for the months of Jan 2010 and Dec 2009 it was found that parameters are meeting the prescribed standards for the month of Jan 2010.  However parameters are not meeting the prescribed standards w.r. t Phosphate for the month of Dec 2009
Decision of Consent Management Committee (Orange) w.r.t. cases of MSW Cell dated 20.04.2010:

No Action.

Decision of Consent Management Committee (Orange) wrt cases of MSW Cell dated 09.08.2010:

No Action.
Chairman
M. S.
      Member    Prof. S.K Gupta      SEE  EE
 AEE     
DPCC      DPCC      Env. Deptt.   Member (Acd. Inst) (MSW) MSWM Cell

Bakkarwala STP, (3 MLD)
Consent Status 

Consent to Operate issued on 12.02.08 valid up to 20.05.2010.
Not applied for renewal of consent to operate.

Decision of Consent Management Committee (MSW) in its meeting dated 12.05.2009 :

No action. 

Action Taken Report
After examining the monthly analysis report for the month of Nov 2009 it was found that parameters are meeting the prescribed standards.   

Decision of Consent Management Committee (Orange) w.r.t. cases of MSW Cell dated 19.01.2010:

No action, as the consent is valid.

Action Taken Report
After examining the monthly analysis reports from  Dec 2009 to Feb 2010 it was found that parameters are not  meeting the prescribed standards w.r.t. TSS and BOD in Dec 2009 , parameters are meeting the prescribed standards in Jan 2010, However  parameters are not  meeting the prescribed standards w.r.t. TSS in Feb 2010.
Decision of Consent Management Committee (Orange) w.r.t. cases of MSW Cell dated 20.04.2010:
Issue letter for rectification of deficiencies observed after analysis of treated effluent and also seek application for CTO(R).
Action taken/ Status after the meeting held on 20.04.2010:

1. Letter for rectification of deficiencies observed after analysis of treated effluent and also seeking application for Consent to Operate (Renewal) under Air and Water Acts issued on 26.05.10.

2. Executive Engineer DD(S)I, Slum & JJ Department submitted a reply to our letter stating that the STP has been handed over to DJB and any further communication should be made with DJB.
3. Not applied for consent to operate (renewal).
Decision of Consent Management Committee (Orange) wrt cases of MSW Cell dated 09.08.2010:

Issue a reminder seeking application for renewal of consent to operate.
Chairman
M. S.
      Member    Prof. S.K Gupta      SEE  EE
 AEE     
DPCC      DPCC      Env. Deptt.   Member (Acd. Inst) (MSW) MSWM Cell

Molar Band STP (3 MLD)
Consent Status 

Consent to Operate issued on 12.02.08 valid upto 20.05.2010.
Not applied for consent to operate.

Decision of Consent Management Committee (MSW) in its meeting dated 12.05.2009 :

D.O. Letter from Chairman, DPCC to CEO, DJB for not meeting the norms & other deficiencies.

Action Taken Report
As decided in CMC (MSWM) D.O letters dated 04.06.09 was issued.  After examining the monthly analysis report for the month of Nov 2009 it was found that parameters are not meeting the prescribed standards w.r.t. TSS, BOD and Po4.   

Decision of Consent Management Committee (Orange) w.r.t. cases of MSW Cell dated 19.01.2010:

Issue letter for rectification of deficiencies to comply with the norms laid down.

Action Taken Report
A letter dated 12.02.10 has been issued for rectification of deficiencies to comply with the norms laid down.

A reply letter was received on 11.03.10 stating that Molar Band STP was handed over to Mr P.C. Sharma, SDW, DJB on 12.05.08; and thus he should be contacted for the rectification of deficiencies in the STP Plant.

After examining the monthly analysis report for the months of Dec 2009 and Feb 2010. It was found that for Feb 2010 parameters are not meeting the prescribed standards w.r.t. TSS, BOD and PO4. .

The plant was found Non operational at the time of monitoring in the month of 

Dec 2009.
Decision of Consent Management Committee (Orange) w.r.t. cases of MSW Cell dated 20.04.2010:
Issue letter for rectification of deficiencies observed after analysis of treated effluent and also seek application for CTO(R).
Action taken/ Status after the meeting held on 20.04.2010:

1. Letter for rectification of deficiencies observed after analysis of treated effluent and also seeking application for Consent to Operate (Renewal) under Air and Water Acts issued on 25.05.10.

2. Executive Engineer DD(S)I Slum & JJ Department submitted a reply to our letter stating that the STP has been handed over to DJB and any further communication should be made with DJB.

3. After examining the monthly analysis report for the months of April, May and June 2010, it was found that the plant was found non operational at the time of monitoring for the month of June. 

4. Not applied for consent to operate (renewal).

Decision of Consent Management Committee (Orange) wrt cases of MSW Cell dated 09.08.2010:

Issue a reminder seeking application for renewal of consent to operate.
Chairman
M. S.
      Member    Prof. S.K Gupta      SEE  EE
 AEE     

DPCC      DPCC      Env. Deptt.   Member (Acd. Inst) (MSW) MSWM Cell
Holambi Kalan STP, (2 MLD)
Consent Status 

Consent to Operate issued on 14.05.04 valid upto 08.10.06.

Not applied for renewal of consent to operate.

Decision of Consent Management Committee (MSW) in its meeting dated 12.05.2009 :

D.O. Letter from Chairman, DPCC to CEO, DJB for not meeting the norms & other deficiencies.

Action Taken Report
As decided in CMC (MSWM) D.O letters dated 04.06.09 was issued.  The plant is non operational and is to be taken over by DJB from Dept of JJ Clusters.
Decision of Consent Management Committee (Orange) w.r.t. cases of MSW Cell dated 19.01.2010:

Issue letter seeking application for renewal of consent.

Also inspect and report to find out the operational status.

Action Taken Report
A letter dated 12.02.10 was issued seeking application for renewal of consent, but no reply has been received so far.
Also unit was inspected on 08.04.10 by the official(s) of DPCC and the findings are as under:
· At the time of inspection the unit was found Closed/non operational.

· As informed by the local authorities the unit has remained closed since the past two or two and a half years (approx).

Decision of Consent Management Committee (Orange) w.r.t. cases of MSW Cell dated 20.04.2010:
Issue a letter to DJB seeking clarification regarding non operation of the STP. 

Action taken/ Status after the meeting held on 20.04.2010:

1. Letter to DJB seeking clarification regarding non operation of the STP issued on 7.06.2010.

2. Executive Engineer DD(S)I Slum & JJ Department submitted a reply to our letter stating that the STP is to be handed over to DJB. The deficiencies to the paid to DJB for restoration of the STP are in process of approval.

3. Not applied for renewal of consent to operate.
Decision of Consent Management Committee (Orange) wrt cases of MSW Cell dated 09.08.2010:

Issue a reminder seeking application for renewal of consent to operate.
Chairman
M. S.
      Member    Prof. S.K Gupta      SEE  EE
 AEE     
DPCC      DPCC      Env. Deptt.   Member (Acd. Inst) (MSW) MSWM Cell

Tikri Khurd STP (2 MLD)
Consent Status 

Consent to Operate expired on 12.06.06. 
Not applied for renewal of consent to operate.

Decision of Consent Management Committee (MSW) in its meeting dated 12.05.2009 :

D.O. Letter from Chairman, DPCC to CEO, DJB for not meeting the norms & other deficiencies.

Action Taken Report

As decided in CMC (MSWM) D.O letters dated 04.06.09 was issued.  The plant is non operational and is to be taken over by DJB from Dept of JJ Clusters.

Decision of Consent Management Committee (Orange) w.r.t. cases of MSW Cell dated 19.01.2010:

Issue letter seeking application for renewal of consent.

Also inspect and report to find out the operational status.

Action Taken Report
As decided in CMC (MSWM) a letter was issued on 12.02.10. The unit has not submitted an application for renewal of consent so far. 
During inspection the plant was found closed/ non operational, as per local inquiry the unit has closed from last two years.
Decision of Consent Management Committee (Orange) w.r.t. cases of MSW Cell dated 20.04.2010:

Issue a letter to DJB seeking clarification regarding non operation of the STP. 

Action taken/ Status after the meeting held on 20.04.2010:

1. Letter to DJB seeking clarification regarding non operation of the STP issued on 09.06.10.

2. Executive Engineer DD(S)I Slum & JJ Department submitted a reply to our letter, stating that Tikri Khurd is to be handed over to DJB. The deficiencies to the paid to DJB for restoration of the STP are in process of approval.

3. Not applied for renewal for consent to operate.

Decision of Consent Management Committee (Orange) wrt cases of MSW Cell dated 09.08.2010:

Issue a reminder seeking application for renewal of consent to operate.
Chairman
M. S.
      Member    Prof. S.K Gupta      SEE  EE
 AEE     
DPCC      DPCC      Env. Deptt.   Member (Acd. Inst) (MSW) MSWM Cell

Ghitorni STP,  (5 MGD)
Consent Status 

Not applied for consent.

Decision of Consent Management Committee (MSW) in its meeting dated 12.05.2009 :

D.O. Letter from Chairman, DPCC to CEO, DJB for not meeting the norms & other deficiencies.

Action Taken Report
As decided in CMC (MSWM) D.O letters dated 04.06.09 was issued.  Letter received from DDA stating that the plant is non operational since long due to absence of raw sewage to the plant.   

Decision of Consent Management Committee (Orange) w.r.t. cases of MSW Cell dated 19.01.2010:

Issue letter seeking consent application.

Also inspect and report to find out the operational status.

Action Taken Report
A letter dated 12.02.10 was issued seeking consent application, but no reply has been received so far.

Also unit was inspected on 09.04.10 by the official(s) of DPCC and the findings are as under:

· The unit was found closed. 

· As informed by Sh. Santram, Guard, DJB, telephonically the unit was closed / non-operational from last two-three Years (approx.). 
Decision of Consent Management Committee (Orange) w.r.t. cases of MSW Cell dated 20.04.2010:
Issue an advisory letter to CEO, DJB.

Action taken/ Status after the meeting held on 20.04.2010:

1. An advisory letter to CEO, DJB issued on 11.06.10.

2. Executive Engineer (SDW)V, Delhi Jal Board, submitted a reply to our letter, stating that the STP is neither commissioned as yet nor it is in operation at present as no sewerage has been connected so far with the STP.

3. Not applied for consent.
Decision of Consent Management Committee (Orange) wrt cases of MSW Cell dated 09.08.2010:

Issue a reminder seeking application for consent to operate.
Chairman
M. S.
      Member    Prof. S.K Gupta      SEE  EE
 AEE     
DPCC      DPCC      Env. Deptt.   Member (Acd. Inst) (MSW) MSWM Cell

STP at National Bureau of Plant Genetic Resources ICAR, Pusa Campus,  (80 KLD)
Consent Status 

Consent to Operate expired on 07.06.07. 
Not applied for renewal of consent.
Decision of Consent Management Committee (MSW) in its meeting dated 12.05.2009 :

Issue reminder for not meeting the norms & Bank Guarantee as sought earlier.   
Action Taken Report
Reminder was issued on 28.05.09 to comply with norms & Bank Guarantee Rs. 1 lakh. Letter dated 12.06.09 were received on 17.06.09 form NBPGR. And has submitted the Test Certificate from Delhi Water and General test Lab (P) Ltd. Forwarded by CPWD.  Test Certificate is for samples of waste water before inlet and waste water after outlet tested on 15.05.09 to 18.05.09 by Delhi Water & General Test Lab (P) Ltd. 302, B-11, Commercial Complex, Ranjeet Nagar, New Delhi-110008.
BG not submitted.
After examining the monthly analysis reports for the month of Nov 2009, it was found that parameters w.r.t. TSS; BOD & PO4 are not meeting the prescribed standards.
Decision of Consent Management Committee (Orange) w.r.t. cases of MSW Cell dated 19.01.2010:

Issue letter seeking application for renewal of consent and rectification of deficiencies to comply with the norms laid down for parameters TSS, BOD and PO4.

Action Taken Report

Letter dated 12.02.10 for seeking application for renewal of consent and rectification of deficiencies to comply with the norms laid down for parameters TSS, BOD and PO4. However, no reply received so far.

After examining the monthly analysis reports for the months Dec 2009 to Jan 2010, it was found  for the month of Jan 2010 ,  parameters are not meeting the prescribed standards w.r.t. TSS; BOD & COD. However; for the month of Dec 2009 Parameters are not meeting the prescribed standards w.r.t TSS and BOD 
BG not submitted.
Decision of Consent Management Committee (Orange) w.r.t. cases of MSW Cell dated 20.04.2010:

Issue a letter to the unit seeking application for CTO(R) with a copy to Director of National Bureau of Plant Genetic Resources ICAR.
Action taken/ Status after the meeting held on 20.04.2010:

1. Letter to the unit seeking application for Consent to Operate (Renewal) with a copy to Director of National Bureau of Plant Genetic Resources ICAR issued on 26.05.10.

2. Sr. Admn. Officer of the STP submitted a reply, seeking guidance and advices from DPCC to improve the performance of their STP/ETP.

3. Not applied for consent to operate (renewal).
Decision of Consent Management Committee (Orange) wrt cases of MSW Cell dated 09.08.2010:
Issue a reminder seeking application for renewal of consent to operate and send list of empanelled consultants to improve STP’s performance.
Chairman
M. S.
      Member    Prof. S.K Gupta      SEE  EE
 AEE     DPCC      DPCC      Env. Deptt.   Member (Acd. Inst) (MSW) MSWM Cell

Agenda No. 3
Haiderpur Water Treatment Plant
Consent status:

· Consent to Establish issued on 08.02.10 valid upto 07.02.2011.

· Consent to Operate issued on 08.02.10 valid upto 12.02.2011.
Decision of Consent Management Committee (MSW) in its meeting dated 12.05.2009 : 

D.O. Letter from Chairman, DPCC to CEO, DJB for not meeting the norms & other deficiencies. 

Action Taken Report

As decided in CMC (MSWM) D.O letter dated 04.06.09 was issued regarding operation and treatment of STPs.  A perusal of report of monitoring done in month of Nov., 2009 are meeting the prescribed standards.  
Decision of Consent Management Committee (Orange) wrt cases of MSW Cell dated 19.01.2010:

Issue consent to establish and consent to operate.

Inform DPCC laboratory to monitor the quality of waste water discharged by the plant instead of analyzing the quality of drinking water.

Action Taken Report
· As decided in CMC (MSW) consent to establish and consent to operate was issued on 08.02.2010. 

· Further DPCC Laboratory has informed to monitor the quality of waste water discharged by the plant instead of analyzing the quality of drinking water.

Decision of Consent Management Committee (Orange) wrt cases of MSW Cell dated 20.04.2010:

No Action.
Decision of Consent Management Committee (Orange) wrt cases of MSW Cell dated 09.08.2010:

No action. Inspect the plant to ascertain final discharge, after recycling, to drain/sewer. 

Chairman
M. S.
      Member    Prof. S.K Gupta      SEE  EE
 AEE     
DPCC      DPCC      Env. Deptt.   Member (Acd. Inst) (MSW) MSWM Cell

                                 Nangloi Water Treatment Plant
Consent status:

· Consent to Establish issued on 03.11.08 valid upto 09.10.2009.
· Not applied for consent to operate. 

Decision of Consent Management Committee (MSW) in its meeting dated 12.05.2009 : 

D.O. Letter from Chairman, DPCC to CEO, DJB for not meeting the norms & other deficiencies. 

Action Taken Report

As decided in CMC (MSWM) D.O letter dated 04.06.09 was issued. A perusal of monitoring report done in month of Nov., 2009 are meeting the prescribed standards.   

Decision of Consent Management Committee (Orange) wrt cases of MSW Cell dated 19.01.2010:

Issue letter seeking application for consent to operate.

Inform DPCC laboratory to monitor the quality of waste water discharged by the plant instead of analyzing the quality of drinking water.

Action Taken Report
· As decided in CMC (MSW) a letter for submission of application for renewal of consent was issued on 11.02.2010. However unit has not submitted any application so far. 

· Further DPCC Laboratory has informed to monitor the quality of waste water discharged by the plant instead of analyzing the quality of drinking water.

Decision of Consent Management Committee (Orange) wrt cases of MSW Cell dated 20.04.2010:

Issue reminder seeking application for consent to operate.

Action taken/ Status after the meeting held on 20.04.2010:

1. Reminder letter seeking application for Consent to Operate under Air and Water Acts issued on 26.05.10. The same was received back undelivered.

2. The unit had not applied for consent to operate.
Decision of Consent Management Committee (Orange) wrt cases of MSW Cell dated 09.08.2010:

Issue reminder seeking application for consent to operate.

Chairman
M. S.
      Member    Prof. S.K Gupta      SEE  EE
 AEE     
DPCC      DPCC      Env. Deptt.   Member (Acd. Inst) (MSW) MSWM Cell

Wazirabad Water Treatment Plant

Consent status:

· Consent to Establish issued on 08.02.10 valid upto 07.02.2011.
· Not applied for consent to operate.

Decision of Consent Management Committee (MSW) in its meeting dated 12.05.2009 : 

D.O. Letter from Chairman, DPCC to CEO, DJB for not meeting the norms & other deficiencies. 

Action Taken Report

As decided in CMC (MSWM) D.O letter dated 04.06.09 was issued. A perusal of monitoring report done in month of Nov., 2009 are meeting the prescribed standards.   

Decision of Consent Management Committee (Orange) wrt cases of MSW Cell dated 19.01.2010:

Issue consent to establish and ask the unit to apply for consent to operate.

 Inform DPCC laboratory to monitor the quality of waste water discharged by the plant instead of analyzing the quality of drinking water.

Action Taken Report
· As decided in CMC (MSW) consent to establish and a letter for submission of application for consent to operate were issued on 08.02.2010 & 11.02.2010 respectively.  

· Further DPCC Laboratory has informed to monitor the quality of waste water discharged by the plant instead of analyzing the quality of drinking water.

Decision of Consent Management Committee (Orange) wrt cases of MSW Cell dated 20.04.2010:

Issue reminder seeking application for consent to operate. 

Action taken/ Status after the meeting held on 20.04.2010:

1. Reminder letter seeking application for Consent to Operate under Air and Water Acts issued on 25.05.10.  

2. The unit has not applied for consent to operate.

Decision of Consent Management Committee (Orange) wrt cases of MSW Cell dated 09.08.2010:

Issue reminder seeking application for consent to operate. Inspect the plant to ascertain final discharge, after recycling, to drain/sewer.

Chairman
M. S.
      Member    Prof. S.K Gupta      SEE  EE
 AEE     
DPCC      DPCC      Env. Deptt.   Member (Acd. Inst) (MSW) MSWM Cell

Chandrawal  Water Treatment Plant-I

(35 MGD)

Consent status:

· Consent to Establish issued on 08.02.10 valid upto 07.02.2011.
·  Applied for consent to operate on 28.06.10.

Decision of Consent Management Committee (Orange) wrt cases of MSW Cell dated 19.01.2010:

Issue consent to establish and ask the unit to apply for consent to operate.

 Inform DPCC laboratory to monitor the quality of waste water discharged by the plant instead of analyzing the quality of drinking water.

Action Taken Report
· As decided in CMC (MSW) consent to establish and a letter for submission of application for consent to operate were issued on 08.02.2010 & 11.02.2010 respectively.  

· Further DPCC Laboratory has informed to monitor the quality of waste water discharged by the plant instead of analyzing the quality of drinking water.

Decision of Consent Management Committee (Orange) wrt cases of MSW Cell dated 20.04.2010:

Issue reminder seeking application for consent to operate.

Action taken/ Status after the meeting held on 20.04.2010:

1. Reminder letter seeking application for Consent to Operate under Air and Water Acts issued on 25.05.10.  

2. Applied for consent to operate on 28.06.10.

Decision of Consent Management Committee (Orange) wrt cases of MSW Cell dated 09.08.2010:

Issue CTO.

Chairman
M. S.
      Member    Prof. S.K Gupta      SEE  EE
 AEE     
DPCC      DPCC      Env. Deptt.   Member (Acd. Inst) (MSW) MSWM Cell

Chandrawal  Water Treatment Plant-II

(55 MGD)
Consent status:

· Consent to Establish issued on 08.02.10 valid upto 07.02.2011.
· Applied for consent to operate on 28.06.10
Decision of Consent Management Committee (MSW) in its meeting dated 12.05.2009 : 

D.O. Letter from Chairman, DPCC to CEO, DJB for not meeting the norms & other deficiencies. 
Action Taken Report

As decided in CMC (MSWM) D.O letter dated 04.06.09 was issued. A perusal of monitoring report done in month of Nov., 2009 are meeting the prescribed standards.  
Decision of Consent Management Committee (Orange) wrt cases of MSW Cell dated 19.01.2010:

Issue consent to establish and ask the unit to apply for consent to operate.

 Inform DPCC laboratory to monitor the quality of waste water discharged by the plant instead of analyzing the quality of drinking water.

Action Taken Report
· As decided in CMC (MSW) consent to establish and a letter for submission of application for consent to operate were issued on 08.02.2010 & 11.02.2010 respectively.  

· Further DPCC Laboratory has informed to monitor the quality of waste water discharged by the plant instead of analyzing the quality of drinking water.

Decision of Consent Management Committee (Orange) wrt cases of MSW Cell dated 20.04.2010:

Issue reminder seeking application for consent to operate.

Action taken/ Status after the meeting held on 20.04.2010:

1. Reminder letter seeking application for Consent to Operate under Air and Water Acts issued on 26.05.10.  

2. Applied for consent to operate on 28.06.10.
Decision of Consent Management Committee (Orange) wrt cases of MSW Cell dated 09.08.2010:

Issue CTO.

Chairman
M. S.
      Member    Prof. S.K Gupta      SEE  EE
 AEE     
DPCC      DPCC      Env. Deptt.   Member (Acd. Inst) (MSW) MSWM Cell

Bhagirathi Water Treatment Plant

Consent status:

· Consent to Establish issued  on 08.02.10 valid upto 07.02.2011.
· Not applied for consent to operate.

Decision of Consen Management Committee (MSW) in its meeting dated 12.05.2009 : 

D.O. Letter from Chairman, DPCC to CEO, DJB for not meeting the norms & other deficiencies. 
Action Taken Report

As decided in CMC (MSWM) D.O letter dated 04.06.09 was issued. A perusal of monitoring report done in month of Nov., 2009 are meeting the prescribed standards.   
Decision of Consent Management Committee (Orange) wrt cases of MSW Cell dated 19.01.2010:

Issue consent to establish and ask the unit to apply for consent to operate.

 Inform DPCC laboratory to monitor the quality of waste water discharged by the plant instead of analyzing the quality of drinking water.

Action Taken Report
· As decided in CMC (MSW) consent to establish and a letter for submission of application for consent to operate were issued on 08.02.2010 & 11.02.2010 respectively.  

· Further DPCC Laboratory has informed to monitor the quality of waste water discharged by the plant instead of analyzing the quality of drinking water.
Decision of Consent Management Committee (Orange) wrt cases of MSW Cell dated 20.04.2010:

Issue reminder seeking application for consent to operate.

Action taken/ Status after the meeting held on 20.04.2010:

1. Reminder letter seeking application for Consent to Operate under Air and Water Acts issued on 26.05.10.  

2.  Not applied for consent to operate.

Decision of Consent Management Committee (Orange) wrt cases of MSW Cell dated 09.08.2010:

Issue reminder seeking application for consent to operate.

Chairman
M. S.
      Member    Prof. S.K Gupta      SEE  EE
 AEE     
DPCC      DPCC      Env. Deptt.   Member (Acd. Inst) (MSW) MSWM Cell

Sonia Vihar Water Treatment Plant
Consent status:

· Consent to operate granted on 13.03.2007 valid upto 08.12.2009.
· Not applied for consent to operate (renewal). 
Decision of Consent Management Committee (MSW) in its meeting dated 12.05.2009 : 

No action.

Action Taken Report

A perusal of monitoring report done in month of Nov., 2009 are meeting the prescribed standards.   
Decision of Consent Management Committee (Orange) wrt cases of MSW Cell dated 19.01.2010:

Ask the unit to apply for renewal of consent.

 Inform DPCC laboratory to monitor the quality of waste water discharged by the plant instead of analyzing the quality of drinking water.

Action Taken Report
· As decided in CMC (MSW) a letter for submission of application for renewal of consent was issued on 11.02.2010. However unit has not submitted any application so far. 

· Further DPCC Laboratory has informed to monitor the quality of waste water discharged by the plant instead of analyzing the quality of drinking water.
Decision of Consent Management Committee (Orange) wrt cases of MSW Cell dated 20.04.2010:

Issue reminder seeking application for consent to operate.

Action taken/ Status after the meeting held on 20.04.2010:

1. Reminder letter seeking application for Consent to Operate under Air and Water Acts issued on 26.05.10.  

2. Not applied for consent to operate (renewal).

Decision of Consent Management Committee (Orange) wrt cases of MSW Cell dated 09.08.2010:

Issue reminder seeking application for consent to operate.

Chairman
M. S.
      Member    Prof. S.K Gupta      SEE  EE
 AEE     
DPCC      DPCC      Env. Deptt.   Member (Acd. Inst) (MSW) MSWM Cell

Agenda No. 4

Jhilmil & Friends Colony Indl Area CETP ( 16.8 MLD)
Consent status of CETP

· Consent to operate issued on 28.02.07 to CETP society for period of three years and valid up 07.01.2010. 

· Applied for Renewal of Consent on 04.01.2010.

· CTR issued on 07.05.10 and valid upto 03.01.2013.

· Applied for renewal of authorization on 24.06.2010.

Decision of Consent Management Committee (Orange) wrt cases of MSW Cell dated 19.01.2010:

Issue letter for rectification of deficiencies observed during the inspection and monitoring of waste water and submission of Bank Guarantee as sought earlier.
Action Taken Report
1. A letter regarding rectification of deficiencies observed during the inspection and monitoring of waste water and submission of Bank Guarantee as sought earlier  was issued on 17.02.10
2. A letter was issued on 16.02.10 regarding “Installation of TOC Analyzer/ BOD Biosensor at Jhilmil & Friends Colony Indl. Area CETP”.

3. In response of our letter dated 17.02.10 a reply has received on 5.03.10 regarding the rectification of deficiencies. Copy of same is enclosed with agenda

4. A letter was received on 29.03.10 regarding the “Installation of TOC Analyzer/ BOD Biosensor at Jhilmil & Friends Colony Indl. Area CETP” stating that Jhilmil CETP has being designed/ installed and commissioned on physio-chemical treatment process not on biological treatment technology and thus society feels no need to install TOC Analyzer/ BOD Biosensor.

CETP was inspected by team of DPCC officials on 29.03.10 and observations made are as under: 
· Flow meter installed after equalization tank found in operation. Meter reading- 33435
· Out of two equalization tank, at present only one equalization tank is in use and other one is being dried to de-silt the silt.
· Pressure gauge installed with 4 DMFs and 6 ACFs has not been replaced so far
· One vacuum filter found out of order and another is also not functioning properly.

· Cleaning of pre chlorination tank is required due to scum.

· No proper arrangement for removal of oil and grease.

· Suitable V- notch arrangement is required in Tube settler weir plate.
As per DPCC analysis report, parameters not complying with the prescribed norms during following months are as under:-

	December, 09
	                     January, 10


	Inlet
	Outlet
	Inlet
	Outlet

	TSS-276          
	Cl-1500                  TDS-3450

Fluoride- 2.4
	-
	Cl-1100


	February, 10

	Cu-4.1          
	Cl-1020               


All Values are in mg/l expect pH

Decision of Consent Management Committee (Orange) wrt cases of MSW Cell dated 20.04.2010:
Issue CTO(R). Also issue a letter for rectification of deficiencies observed during the last two inspections and indicating the parameters which are exceeding the prescribed limits during the monitoring except TDS and also ask the unit to submit fresh application for authorization under HWM Rules.

Action taken/ Status after the meeting held on 20.04.2010:

1. Consent to Operate (Renewal) under Air and Water Acts issued on 07.05.2010. Letter Issued for rectification of deficiencies observed during the last two inspections and indicating the parameters which are exceeding the prescribed limits during the monitoring except TDS and also asking the unit to submit fresh application for authorization under HWM Rules on 25.05.2010.

2. In response of our letter dated 25.05.10 a reply has been received on 28.06.10 regarding the rectification of deficiencies. In letter they have mentioned that parameters are within control except at the inlet TSS, pressure gauges are under replacement. Also vacuum filter issue was indicated to DPCC with relevant details. The cleaning of pre-chlorination tank is being taken on urgent basis, the oil & grease system has been thoroughly overhauled and modified to suite the flow conditions and the weir plate arrangement is being pursued by the society.
3. Applied for renewal of authorization on 24.06.2010.
CETP was inspected by team of DPCC officials on 10.06.2010 and observations made are as under: 
· Flow meter installed after equalization tank found in operation. Meter reading 598343 m3.

· There are two equalization tanks, out of which one is being used for treatment of received effluent and other is being used for storage of sludge.

· Pressure gauge installed with 4 DMFs and 6 ACFs has not been replaced so far.
· One vacuum filter found out of order and another is also not functioning properly. Proper arrangement is required for removing/ solidification of sludge.

· Cleaning of pre chlorination tank is required due to scum.

· No proper arrangement for removal of oil and grease.

· Suitable V- notch arrangement is required in Tube settler weir plate.

· Treated waste water is being by-passed from DMF’s and ACF’s due to maintenance work.
As per DPCC analysis report, parameters not complying with the prescribed norms during following months are as under:-

	April,2010
	May,2010

	Inlet
	Outlet
	Inlet
	Outlet

	    TSS- 440    
	Cl-1680

Flouride-3.5          
	
	Cl- 4300

Sulphide-4.0



	June, 10

	Meeting 
the Standards
 except TDS         

            


All Values are in mg/l expect pH
Decision of Consent Management Committee (Orange) wrt cases of MSW Cell dated 09.08.2010:
Issue authorization (Renewal) under HWM Rules.

Chairman
M. S.
      Member    Prof. S.K Gupta      SEE    EE
      AEE     

DPCC      DPCC      Env. Deptt.   Member (Acd. Inst) (MSW) MSWM Cell

GTK Road Indl Area CETP ( 6 MLD)
Consent status of CETP
· CTE issued to DSIIDC on 20.01.04 valid upto 19.01.05. 

· CTO issued to DSIIDC on 15.09.04 valid upto 27.07.07.

· Not applied for consent to operate.
· Authorization issued on 27.01.2005. Valid upto 26.01.07.

·  Not applied for renewal of authorization.

Decision of Consent Management Committee (Orange) wrt cases of MSW Cell dated 19.01.2010:

Issue letter for rectification of deficiencies observed during the inspection and monitoring of waste water and submission of Bank Guarantee as sought earlier.
Also, issue a SCN for launching prosecution for not filing consent application in spite of number of letters.

Action taken report 
1. A letter regarding rectification of deficiencies observed during the inspection and monitoring of waste water and submission of Bank Guarantee as sought earlier was issued on 18.02.10 and SCN for launching prosecution was issued 
2. A letter was issued on 16.02.10 regarding “Installation of TOC Analyzer/ BOD Biosensor at GTK Road Indl. Area CETP”.
3. In response to our letter dated 18.02.10 CETP has submitted its reply; copy of the same is enclosed with agenda. Further, in regard to launching prosecution CETP has submitted its reply, legal cell of DPCC has opinioned that “ gone through the records of the file it is very much clear that CETP Society has not applied for renewal of consent under water act 1974 apart from continuing deficiencies in meetings prescribed standards , despite numerous letters for rectification of deficiencies . Even after receiving notice for applying for consent and in absence prosecution shall be launched, CETP society had sent very wrong, baseless reply. ( page 419/c – 422/c) Further latest inspection still confirms the fact of deficiencies in meeting standards. In these circumstances for case must be considered for prosecution. 

	December, 09
	                     January, 10


	Inlet
	Outlet
	Inlet
	Outlet

	  -       
	 -              
	TSS -1156

        Zn - 6.05

Cr(T) -7.14
	Cl-1600


	                          February, 10

	Inlet
	Outlet

	TSS-1072         
	Cl- 1120               


All Values are in mg/l expect pH
Decision of Consent Management Committee (Orange) wrt cases of MSW Cell dated 20.04.2010:

Issue letter to the Society directing them to apply for CTO (R) failure of which may lead to the appropriate action under the provisions of Air, Water Acts and CETP Act, with copy to Commissioner of Industries.

Action taken/ Status after the meeting held on 20.04.2010:

1. Letter Issued to the Society directing them to apply for CTO (R) failure of which may lead to the appropriate action under the provisions of Air, Water Acts and CETP Act, with copy to Commissioner of Industries on 02.06.2010. 

2. A copy of letter addressed to DSIIDC dated 19.05.2010 was received by DPCC in which plant management committee stated that the system provide to them was never fit to perform as per EPA norms, no solution has been provided for discharge of treated water, no space has been provided for disposal of solid waste and no possession of adjoining garden had been given for necessary modification of the plant, therefore they are hard pressed for disposal of solid waste and servicing of the complete plant and machinery. Moreover, the term of the said agreement is near its expiry so please note that we will not be responsible to operate the plant & machinery at the site without the above support of your office failing which we shall not be responsible in ay manner for any consequences in relation to the above subject matter.

3. CETP Society has submitted its reply regarding rectification of deficiencies, in which they are stating as below:-

· That the flow meter provided to the society had manufacturing defects since the day of start and was never provided to the society in working conditions.

· That both the vacuum filters are in working condition and one is standby so at a moment only one is used.

· That the pumps are in the depths of the waste water sump and permanent solution has been made by installing a pump which is already in the knowledge of the authorities including DSIDC. Moreover, even after our repeated request no arrangement has been made to repair the said pumps of the waste water sump.

· There is no anaerobic reaction can be seen in the sludge thickener. Moreover, there is aeration process at the sludge thickener.

· That all the pressure gauges are working and functional. As we have already submitted that there is standby mechanism at each batch of the process so we use to run the DMFs and ACFs according to the requirement of the volume of the effluent.

· We are working with the system which was made available to us and there is nothing at our end to make changes for storing the sludge under the vacuum filter drums.

· We have no sources to increase the flow as it is actual flow of the area and the designing authority is responsible for such an overdesigned installation of the plant. 

Besides above CETP society has also mentioned following points:-

· To provide one technical officer to assist the society once in a week for technical support and collection of the data from the members.

· To provide us space for disposal of solid waste from the CETP Complex;

· To allow discharge of treated water without any activated carbon treatment as this is a national waste, what to say of financial burden to the society and to the occupiers as you already aware that treated water is drained in the open drains;

· To assist the Society in designing a new Plant as the existing Plant has already completed its age;

· To supply copies of all test reports conducted till date as some of these have not been provided to us regularly for our record and needful action.

· To supply the details of the occupiers of our industrial who has applied for consent and to whom the consent to operate and consent to established has been provided by your esteemed department so as to trace these units working in our industrial area.

4. Not applied for consent to operate and renewal of authorization under HWM Rules
5. No response has been received from the office of the Commissioner of Industries.
6.  CETP Society has e-mailed to Chairman, DPCC regarding non payment of operation and Maintenance charges for CETP GTK, wherein they have requested to initiate prompt action against the15 units who are not paying their dues even after receipt of various bills, notice and reminders issued to them by society. 

CETP was inspected by team of DPCC officials on 14.06.2010 and observations made are as under: 
· No flow meter at inlet of CETP.

· Agitators in equalization tanks found in operation.

· Pump for lifting waste water generated from sludge thickener & vacuum filter drum has been provided.

· Pressure gauges installed with two ACF’s are under repair.

· Out of two vacuum filter drums one is in operation.

As per DPCC analysis report, parameters not complying with the prescribed norms during following months are as under:-

	April,2010
	May,2010

	Inlet
	Outlet
	Inlet
	Outlet

	TSS-1132        
	Fluoride-2.3          
	-
	Cl-1180




	                          June, 10

	Inlet
	Outlet

	TSS-448       
	Meeting Standards

           


         

All Values are in mg/l expect pH
Decision of Consent Management Committee (Orange) wrt cases of MSW Cell dated 09.08.2010:

Issue D O letter to the Commissioner of Industries requesting him to take appropriate action against the CETP Society with in 15 days under the provisions of CETP Act , failing which action as decided earlier to prosecute the Society will be taken. Also, the list of defaulters provided by Society to be sent to the Appropriate Authority.

Chairman
M. S.
      Member    Prof. S.K Gupta      SEE  EE
 AEE     
DPCC      DPCC      Env. Deptt.   Member (Acd. Inst) (MSW) MSWM Cell

Lawrence Road CETP (12 MLD)
Consent status of CETP
· Consent to operate expired on 27-07-07. 
· Applied for renewal of consent on 14.12.2007. 
· CTR issued on 11.05.2010 and valid upto 13.12.2010.
· Authorization valid upto 26.01.07.
· Applied for renewal of authorization under HWM Rules on 06.12.07.

Decision of Consent Management Committee (Orange) wrt cases of MSW Cell dated 19.01.2010:

Issue letter for rectification of deficiencies observed during the inspection and monitoring of waste water and submission of Bank Guarantee as sought earlier.
Action Taken Report
1. A letter regarding rectification of deficiencies observed during the inspection and monitoring of waste water and submission of Bank Guarantee as sought earlier was issued on 18.02.2010. But no reply received so far.
2. A letter was issued on 16.02.10 regarding “Installation of TOC Analyzer/ BOD Biosensor at Lawrence Road CETP”.

CETP was inspected by team of DPCC officials on 26.03.2010 and observation made is as under: 
· Flow meter at inlet found non-operational.

· Ist equalization tank after the grit chamber is being used as a storage tank for two raw effluent.

· Out of two agitators in two equalization tanks only one agitation in second equalization tank is found operational.

· Cleaning of tube settlers is required. 
As per DPCC analysis report, parameters not complying with the prescribed norms during following months are as under:-

	December, 09
	
January, 10

	Inlet
	Outlet
	Inlet
	Outlet

	Non Functional
	TSS- 304

Cr (Total)- 4.02
	BOD-37

Cl- 1200

TDS- 4490


	February, 10

	Inlet
	Outlet

	TSS-284
	             BOD-44

           TDS-4820


All Values are in mg/l expect pH
Decision of Consent Management Committee (Orange) wrt cases of MSW Cell dated 20.04.2010:
Issue CTO(R). Also issue a letter for rectification of deficiencies observed during the inspection and indicating the parameters which are exceeding the prescribed limits during the monitoring except BOD and also ask the unit to submit fresh application for authorization under HWM Rules.

Action taken/ Status after the meeting held on 20.04.2010:

1. Consent to Operate (Renewal) under Air and water Acts issued on 11.05.2010. Letter Issued for rectification of deficiencies observed during the inspection and indicating the parameters which are exceeding the prescribed limits during the monitoring except BOD and also asking the unit to submit fresh application for authorization under HWM Rules on 28.05.2010.

2. DSIIDC has not submitted any reply regarding rectification of deficiencies so far.

3. Not applied for renewal of authorization under HWM Rules
4. A letter was received from DSIIDC regarding modification of CETP, for which they have engaged IIT Delhi. IIT-D has submitted a report for this, which was sent to DPCC along with the letter for the comments.

CETP was inspected by team of DPCC officials on 14.06.10 and observations made are as under: 
· The CETP found not in operation.

· Flow meter at inlet found non-operation 
As per DPCC analysis report, parameters not complying with the prescribed norms during following months are as under:-

	April
	
May, 10

	Inlet
	Outlet
	Inlet
	Outlet

	Non Functional
	TSS- 372
	BOD-38

Cl- 1320




	June,2010

	Inlet
	Outlet

	Non Functional



          All Values are in mg/l expect pH
Decision of Consent Management Committee (Orange) wrt cases of MSW Cell dated 09.08.2010:

Ask the unit to submit fresh application for authorization under HWM Rules. Send comments on IIT Delhi report, if required. 

Chairman
M. S.
      Member    Prof. S.K Gupta      SEE  EE
 AEE     
DPCC      DPCC      Env. Deptt.   Member (Acd. Inst) (MSW) MSWM Cell

Badli Industrial Estate CETP ( 12 MLD)
Consent status of CETP

· Consent to operate issued on 28.02.07 to CETP society for period of three years and valid upto 28.12.09. 

· Applied for Renewal of Consent on 30.11.2009.

· CTR issued on 07.05.2010 and valid upto 29.11.2012 
· Applied for Renewal of authorization under HWM Rules on 30.11.2009.

Decision of Consent Management Committee (Orange) wrt cases of MSW Cell dated 19.01.2010:

Issue letter for rectification of deficiencies observed during the inspection and monitoring of waste water and submission of Bank Guarantee as sought earlier.
Action Taken Report
1. A letter regarding rectification of deficiencies observed during the inspection and monitoring of waste water and submission of Bank Guarantee as sought earlier was issued on 18.02.10.
2. A letter was received from Badli Industrial estate CETP Society regarding “Maintenance of Conveyance System laid down in Badli Industrial Area” on 03.02.10.

3. A letter was issued on 16.02.10 regarding “Installation of TOC Analyzer/ BOD Biosensor at Badli Industrial Estate CETP”.

4. CETP submitted its reply to our letter issued on 18.02.10 stating that as mentioned in our letter in Para 2 regarding non compliance of certain parameters at inlet e.g TSS and Cr (Total), it is submitted that it depends upon effluent reaching the plant which also receives sewage water from the adjoining jhugies and other unauthorized adjoining colonies.

5. Regarding conveyance system, they stated that it is clogged at several places and is overflowing on the road and getting mixed with open drains for which they have been in correspondence with DJB to take necessary measures to clean the system at regular intervals and remove the blockage of the system. 

6. They also mentioned in letter that their TDS value has never crossed the prescribed norms except for one or two occasions. Further, there is no provision in the plant to control TDS and also requested to kindly withdraw the harsh penalty of imposing a bank guarantee.  

CETP was inspected by team of DPCC officials on 16.03.10 and observations made are as under: 
-  About 60% to 70% sludge is filled in equalization tank.

-  Out of two vacuum drum filters one is out of order.
As per DPCC analysis report, parameters not complying with the prescribed norms during following months are as under:-

	
December, 09
	
             January, 10


	Inlet
	Outlet
	Inlet
	Outlet

	TSS-1690         Cr(T)-3.1
	             -
	TSS-644

Cu-5.44


	Fluoride-2.45


	February,10

	Inlet
	Outlet

	TSS-488


	             TDS-2740


All Values are in mg/l expect pH
Decision of Consent Management Committee (Orange) wrt cases of MSW Cell dated 20.04.2010:
Issue CTO (R). Also issue letter for rectification of deficiencies observed during the inspection and monitoring of waste water and ask the unit to apply for authorization under HWM Rules, within 1 month.

Action taken/ Status after the meeting held on 20.04.2010:

1. Consent to Operate (Renewal) under Air and water Acts issued on 07.05.2010. Letter Issued for rectification of deficiencies observed during the inspection and monitoring of waste water and asking the unit to apply for authorization under HWM Rules, within 1 month on 26.05.2010.

2. CETP has submitted its reply wherein it is stating that as mentioned in our letter in Para 2 regarding non compliance of certain parameters at inlet e.g. TSS and Cr (Total), it is submitted that it depends upon effluent reaching the plant which also receives sewage water from the adjoining jhugies and other unauthorized adjoining colonies.

3. They also mentioned in letter that their TDS value has never crossed the prescribed norms except for one or two occasions. Further, there is no provision in the plant to control TDS.

4. With reference to the observation made by DPCC Officials during the inspection the society submitted that the sludge is lying in the Equalization Tank as not been removed for want of adequate storage facility for the same in the Plant. Society also wrote to DPCC requesting for the details of the site selected where the sludge can be transferred.

5. About vacuum filter they stated that it has been non-functional from the very beginning.

6. Society also mentioned in the letter that they have applied for authorization under HWM Rules on 30.11.2009. 

7. CETP has not submitted a fresh application for authorization under HWM, Rules.

CETP was inspected by team of DPCC officials on 17.06.10 and observations made are as under: 
· Flow meter at inlet found in operation. Meter reading is 387103 m3.

· The level of sludge in equalization tank has gone down in comparison to the level noticed in last visit, however noticeable quantity of sludge is yet to be removed.

· One vacuum filter drum found in operation.

· pH at inlet is 5.8

As per DPCC analysis report, parameters not complying with the prescribed norms during following months are as under:-

	April,2010
	May,2010

	Inlet
	Outlet
	Inlet
	Outlet

	TSS-2720        
	Meeting Standards

        
	
-
	Sulphide-3.6




	June,10

	Inlet
	Outlet

	TSS-288


	         Fluoride-2.7


All Values are in mg/l expect pH
Decision of Consent Management Committee (Orange) wrt cases of MSW Cell dated 09.08.2010:

Issue authorization (Renewal) under HWM Rules with the condition to submit fees for the same according to revised fee structure with in 15 days.

Chairman
M. S.
      Member    Prof. S.K Gupta      SEE  EE
 AEE     
DPCC      DPCC      Env. Deptt.   Member (Acd. Inst) (MSW) MSWM Cell

MAYAPURI CETP  (12 MLD)

Consent status of CETP

·  Consent to operate issued on 22.04.2010 valid upto 06.05.2010.
· Applied for renewal of consent to operate on 06.05.2010

· Re-applied for renewal of authorization under HMW Rules on 06.05.2010.

Decision of Consent Management Committee (Orange) wrt cases of MSW Cell dated 19.01.2010:

Issue letter for rectification of deficiencies observed during the inspection and monitoring of waste water and submission of Bank Guarantee as sought earlier.
Action Taken Report
1. A letter regarding rectification of deficiencies observed during the inspection and monitoring of waste water and submission of Bank Guarantee as sought earlier was issued on 17.02.10
2. A letter was issued on 16.02.10 regarding “Installation of TOC Analyzer/ BOD Biosensor at Mayapuri CETP”
3. Reply is submitted by CETP society regarding our letter dated 17.02.10 in which they have mention about non compliance of parameters with prescribed norms stating that CETP has been designed for inlet parameters such as TSS,TDS,BOD, pH, COD. Rest of all parameters has not been considered while designing the plant. The inlet parameters are not controllable as we have no means to change the characteristics of inlet effluent received in the CETP. Since the plant is designed for only 5 parameters the parameters other than these like Cl, Fl, oil and grease etc. will not be treated upto the desired outlet parameters laid by DPCC.

4.  Regarding TDS at the outlet it was decided that TDS is high due to extensive use of ground water. 

5. For deficiencies observed during inspection CETP society clarified that they have 2 vacuum filter units which they use alternatively as per the requirement. They also mention that de-silting of grit chamber is done regularly .As per their procedure for cleaning the grit chamber , one of the grit chamber is closed for 4-6 hrs while all the flow through the other. At the evening when the grit is dry it is evacuated in morning.

6. About sludge and scumming observed in equalization tank they stated that equalization tank has no underflow sludge valve, due to which cleaning of sludge deposited in the tank cannot be done. They also that all the mesh presents at different units are cleaned in every 2-3 hrs and the foaming in the final tank was observed due to turbulence created by the falling water.

7. CETP society also conveyed that imposing bank guarantee is not justified and thus requested to waving off of bank guarantee imposed on them. 

CETP was inspected by team of DPCC officials on 12.03.10 and observations made are as under: 

· Sludge present in equalization tank.

· Media replacement work is being undertaken in DMFs.

· Flow meter installed after equalization pump house found in operation

As per DPCC analysis report, parameters not complying with the prescribed norms during following months are as under:-

	December, 09
	
January,10

	Inlet
	Outlet
	Inlet
	Outlet

	-
	-
	TSS- 292


	Cl-1600

Fluoride-2.4


	February,10

	Inlet
	Outlet

	       TSS-408


	        TDS-2200


Decision of Consent Management Committee (Orange) wrt cases of MSW Cell dated 20.04.2010:
Issue CTO (R) without waiting for minutes. Also Issue letter for rectification of deficiencies observed during the inspection and monitoring of waste water and ask the unit to apply for authorization under HWM Rules, within 1 month.

Action taken/ Status after the meeting held on 20.04.2010:

1. Consent to Operate (Renewal) under Air and water Acts issued on 22.04.2010 valid upto 06.05.2010. Letter Issued for rectification of deficiencies observed during the inspection and monitoring of waste water and asking the unit to apply for authorization under HWM Rules, within 1 month on 02.06.2010.

2. Applied for renewal of consent to operate on 06.05.2010

3. Re-applied for renewal of authorization under HMW Rules on 06.05.2010
4. However no reply has been received regarding the rectification of deficiencies so far.

CETP was inspected by team of DPCC officials on 11.06.10 and observations made are as under: 
· Flow meter installed after equalization pump house found in operation. Meter reading – 5721752

· The equalization tank no.1 has been completely de-silted. The painting and maintenance of agitators is in process.

· The work of media replacement in DMF’s is going on.
As per DPCC analysis report, parameters not complying with the prescribed norms during following months are as under:-

	April, 09
	
May,10

	Inlet
	Outlet
	Inlet
	Outlet

	TSS-252
	BOD-36

Cl-1400

Fluoride-3
	TSS- 830


	Meeting Standards


	June,2010

	Inlet
	Outlet

	TSS-424
	Meeting Standards




 All Values are in mg/l expect pH
Decision of Consent Management Committee (Orange) wrt cases of MSW Cell dated 09.08.2010:

Issue CTO (R) and renewal of authorization under HWM Rules. 

Chairman
M. S.
      Member    Prof. S.K Gupta      SEE  EE
 AEE     
DPCC      DPCC      Env. Deptt.   Member (Acd. Inst) (MSW) MSWM Cell

MANGOL PURI CETP (2.4 MLD)

Consent status of CETP

· Consent to operate issued on 27.07.2007 and valid upto 04.02.2010.

· Applied for renewal of consent to operate on 29.06.2010.

· Authorization under HMW Rules issued on 27.01.05 valid upto 26.01.07
·  Not required renewal of authorization under HMW Rules being a biological CETP.
Decision of Consent Management Committee (Orange) wrt cases of MSW Cell dated 19.01.2010:

Issue letter for rectification of deficiencies observed during the inspection and monitoring of waste water and submission of Bank Guarantee as sought earlier.

Action Taken Report

1. A letter regarding rectification of deficiencies observed during the inspection and monitoring of waste water and submission of Bank Guarantee as sought earlier was issued on 18.02.10

2. A letter was issued on 16.02.10 regarding “Installation of TOC Analyzer/ BOD Biosensor at Mangolpuri CETP”.

3. CETP submitted its reply regarding deficiencies observed in monthly monitoring stating that technical committee is looking after the proper functioning of the plant and the parameters Cl and TDS which are found to be exceeding permissible limits are not within their control as plant is not designed to control aforesaid parameters. DPCC’s suggestion for regular cleaning of scum in Aeration Holding Tank is being looked after and all necessary precaution shall be taken. 

4. CETP submitted its reply regarding Installation of TOC Analyzer (s) on 08.03.2010 stating that the matter is being looked after for necessary compliance, and the compliance report will be intimated to DPCC in near future.

5. A letter issued by CETP society on 5.03.2010 stated that DPCC’s request for deposition of Bank Guarantee has been discussed and considered, Managing Committee is of opinion that the problems cannot be solve through such deposits.

CETP was inspected by team of DPCC officials on 26.03.10 and observations made are as under:

· Flow meter is installed at Primary Clarifier found in operation. 

· No proper arrangements for sludge removal from sludge thickener.

· 3 DMFs and 2 ACFs found in operation.
As per DPCC analysis report, parameters not complying with the prescribed norms during following months are as under:-

	

December, 09
	
January,10

	Inlet
	Outlet
	Inlet
	Outlet

	TSS-512
	       TDS-5100


	TSS-384

Cu-3.1
	Cl-2700

TDS-5280


	February,10

	Inlet
	Outlet

	TSS-404
	         TDS-5620

            Cl-2150




All Values are in mg/l expect pH
Decision of Consent Management Committee (Orange) wrt cases of MSW Cell dated 20.04.2010
Issue letter for rectification of deficiencies observed during the inspection and monitoring of waste water and ask the unit to apply for CTO(R) under Air and Water Acts, within 1 month.

Action taken/ Status after the meeting held on 20.04.2010:

1. Letter Issued for rectification of deficiencies observed during the inspection and monitoring of waste water and asking the unit to apply for Consent to Operate (Renewal) under Air and Water Acts, within 1 month on 02.06.2010.

2. However no reply has been received regarding rectification of deficiencies so far.

3. Applied for renewal of consent to operate on 29.06.2010.
CETP was inspected by team of DPCC officials on 16.06.2010 and observations made are as under: 
· Flow meter installed at Primary Clarifier found in operation. Meter reading 149982 m3.
· Out of four agitators in aeration tanks three are in operation, one is under maintenance. 
· No proper arrangement for sludge solidification the work of installation of sludge drier system is under progress.

·  Cleaning is required in final treatment water holding tank.
As per DPCC analysis report, parameters not complying with the prescribed norms during following months are as under:-

	April,2010
	May,2010

	Inlet
	Outlet
	Inlet
	Outlet

	   TSS-304     
	TSS-106

BOD-35

Cl-7000          
	TSS-284
	Cl-12700




	June,2010

	Inlet
	Outlet

	-
	        Cl-4148




          

All Values are in mg/l expect pH
Decision of Consent Management Committee (Orange) wrt cases of MSW Cell dated 09.08.2010:

Issue CTO (R) and put up file with in 30 days regarding applicability of authorization under HWM Rules, as the treatment scheme is biological. 

Chairman
M. S.
      Member    Prof. S.K Gupta      SEE  EE
 AEE     
DPCC      DPCC      Env. Deptt.   Member (Acd. Inst) (MSW) MSWM Cel
Wazirpur Indl Area CETP ( 24 MLD)
Consent status of CETP

· Consent to operate issued on 23.02.07 and valid up 27.12.09. 

· Applied for renewal of consent to operate on 12.07.2010

· Applied for renewal of authorization under HMW Rules on 15.11.06. 

Decision of Consent Management Committee (Orange) wrt cases of MSW Cell dated 19.01.2010:

Issue letter for rectification of deficiencies observed during the inspection and monitoring of waste water and submission of Bank Guarantee as sought earlier.
Action Taken Report
1. A letter regarding rectification of deficiencies observed during the inspection and monitoring of waste water and submission of Bank Guarantee as sought earlier was issued on 17.02.10. 
2. However no reply received so far.
3. A letter was issued on 16.02.10 regarding “Installation of TOC Analyzer/ BOD Biosensor at Wazirpur Indl. Area CETP”
4. CETP society replied to our letter issued on 16.02.10 regarding Installation of TOC Analyzer/ BOD Biosensor stating that they are discharging treated effluent to water body through a guard tank after proper homogenization and hence instrument may not be of any significance.

CETP was inspected by team of DPCC officials on 18.12.09 and observations made are as under:
· Flow meter at inlet of CETP (before receiving chamber) found non operational.

· Equalization tank is filled with significant quantity of sludge / silt.
· Vacuum drum filter is under with maintenance.

As per DPCC analysis report, parameters not complying with the prescribed norms during following months are as under:-

	December, 09
	
January, 10

	Inlet
	Outlet
	Inlet
	Outlet

	TSS-412         

Cr (T)-52.2

Ni-15

Cu-25.4
	       TDS-5090

Sulphide- 3.8
	Non Functional


	February,10

	Inlet
	Outlet

	TSS-484     

Ni-47.5

Cu-35.5
	       TDS-4030




All Values are in mg/l expect pH
Decision of Consent Management Committee (Orange) wrt cases of MSW Cell dated 20.04.2010:
Issue letter for rectification of deficiencies observed during the inspection and monitoring of waste water and ask the unit to apply for CTO (R) under Air and Water Acts and Authorization under HWM Rules, within 1 month.

Action taken/ Status after the meeting held on 20.04.2010:

1. Letter Issued for rectification of deficiencies observed during the inspection and monitoring of waste water and asking the unit to apply for Consent To Operate (Renewal) under Air and Water Acts and Authorization under HWM Rules, within 1 month on 02.06.2010.

2. Applied for renewal of consent to operate on 12.07.2010

3. Not re-applied for renewal of authorization under HMW. 
4. CETP has not submitted its reply regarding rectification of deficiencies.
5. A copy of letter addressed to Sh. Sharat Kumar regarding non-operation of sewage pumping station, dated 05.06.2010 was sent to DPCC by EE in which they have mentioned that during their inspection to SPS, it was found that pumps of SPS were non operational and penstock gate of incoming sever found closed resulting in surcharged condition of sewersin whole Wazirpur Industrial Area. When they have inspected CETP it was also found non operational due to silting in settling tank. EE has requested to enforce regular pumping to keep levels to the minimum to avoid surcharging of sewers.

6. A letter from CETP Society dated 2.07.2010 was issued to DPCC, in letter they have mentioned that CETP was granted authorization only for storage of Sludge within premises and it has not been transported since the commissioning of the plant in 2005, resulting in collapse of the storage society. Since the responsibility of transportation, storage and disposal was entrusted on DPCC, CETP Society requested DPCC to make arrangements for proper disposal of waste.
CETP was inspected by team of DPCC officials on 14.06.2010  and observations made are as under: 
· Flow meter at inlet of CETP (before receiving chamber) found in operation.

· Equalization tank is filled with significant quantity of sludge / silt.
· Vacuum drum filter found in operation.
As per DPCC analysis report, parameters not complying with the prescribed norms during following months are as under:-

	April,2010
	May,2010

	Inlet
	Outlet
	Inlet
	Outlet

	pH-2.7

TSS-628        
	Sulphide-4.3          
	pH-2.53
	TSS-154

BOD-37

Sulphide-10.5




         

	June,10

	Inlet
	Outlet

	pH-1.9

TSS-408
	Meeting the standards except TDS




All Values are in mg/l expect pH
Decision of Consent Management Committee (Orange) wrt cases of MSW Cell dated 09.08.2010:

Issue CTO (R) and renewal of authorization under HWM Rules. 

Chairman
M. S.
      Member    Prof. S.K Gupta      SEE  EE
 AEE     
DPCC      DPCC      Env. Deptt.   Member (Acd. Inst) (MSW) MSWM Cell


DSIDC Nangloi & Udyog Nagar Indl Area CETP ( 12 MLD)
Consent status of CETP
· Applied for consent to operate on 27.06.2007.

· Consent to operate was issued on 03.06.2010 and valid upto 26.06.2010

· Applied for renewal of consent on 08.06.2010
· Applied for renewal of authorization under HWM Rules on 11.06.2010.
Decision of Consent Management Committee (Orange) wrt cases of MSW Cell dated 19.01.2010:

Issue letter for rectification of deficiencies observed during the inspection and monitoring of waste water and submission of Bank Guarantee as sought earlier.

Action Taken Report
1. A letter regarding rectification of deficiencies observed during the inspection and monitoring of waste water and submission of Bank Guarantee as sought earlier was issued on 18.02.10.
2. A letter was issued on 16.02.10 regarding “Installation of TOC Analyzer/ BOD Biosensor at DSIIDC & Udyog Nagar Indl Area CETP”
3. A reply letter was received issued by CETP Society  regarding our letter issued on 18.02.10 stating that parameters like TDS, Chlorine, etc neither can be treated nor be eliminated from the effluent as the plant is not designed to treat these parameters. There is no process in CETP to control TDS and have also requested to wave the bank guarantee and issue consent to the plant. 

4. In reply to our letter issued on 16.02.10 CETP society requested DPCC to provide them reliable sources with detailed information of TOC Analyzer(s) enabling them to install the same at CETP.

CETP was inspected by team of DPCC officials on 26.03.2010 and observations made are as under: 
· Two flow meters (one for Udyog nagar and one for DSIIDC shed) found in operation.
· Replacement of filter cloth in one vacuum drums filter is required.
· Out of 9 DMFs & 6 ACFs, 4 DMFs and 3 ACFs are being used for one cycle and others are being used as standby.

As per DPCC analysis report, parameters not complying with the prescribed norms during following months are as under:-

	December, 09
	
January, 10

	Inlet
	Outlet
	Inlet
	Outlet

	TSS-464         
	          TDS-2350

Fluoride- 2.4
	TSS-332


	Cl-1800

TDS- 3460

Fluoride- 2.45


	

February, 10

	Inlet
	Outlet

	TSS-896       
	            Cl- 2400

        TDS-4750


All Values are in mg/l expect pH
Decision of Consent Management Committee (Orange) wrt cases of MSW Cell dated 20.04.2010:

Issue CTO (R). Also Issue letter for rectification of deficiencies observed during the inspection and monitoring of waste water and ask the unit to apply for authorization under HWM Rules, within 1 month.

Action taken/ Status after the meeting held on 20.04.2010:

1. Consent to Operate (Renewal) under Air and Water Acts issued on 03.06.2010. Letter Issued for rectification of deficiencies observed during the inspection and monitoring of waste water and ask the unit to apply for authorization under HWM Rules, within 1 month on 02.06.2010.

2. In response to our letter CETP Society has submitted its reply dated 14.06.2010 where in it is stating that the parameters of effluent at inlet are beyond their control as inlet of CETP is connected with DJB conveyance system.

3. They have also mentioned that plant has not been designed to control TDS & Cl and have rectified the deficiencies observed during the inspection and had already applied for Authorization under HWM Rules on 11.06.2010.

4. Applied for renewal of consent on 08.06.2010

5. Applied for renewal of authorization under HWM Rules on 11.06.2010.
CETP was inspected by team of DPCC officials on 16.06.2010 and observations made are as under: 
· Two flow meter one for Udyog  Nagar and another for DSIDC shed found in operation

· Filter cloth in one drum is yet to be replaced.

· The work of replacement of media in DMF’s and ACF’s is under progress.

· Cleaning is required in pre-chlorination tank.

As per DPCC analysis report, parameters not complying with the prescribed norms during following months are as under:-

	April,2010
	May,2010

	Inlet
	Outlet
	Inlet
	Outlet

	TSS-360        
	BOD-33

Cl-3900          
	TSS-7580

Cu-4.62
	BOD-44

Cl-10100




	

June, 10

	Inlet
	Outlet

	-   
	            Cl- 2399

        


All Values are in mg/l expect pH
Decision of Consent Management Committee (Orange) wrt cases of MSW Cell dated 09.08.2010:

Issue CTO (R) and renewal of authorization under HWM Rules. 

Chairman
M. S.
      Member    Prof. S.K Gupta      SEE  EE
 AEE     
DPCC      DPCC      Env. Deptt.   Member (Acd. Inst) (MSW) MSWM Cell


SMA Indl Area CETP ( 12 MLD)
Consent status of CETP

· Consent to operate issued on 15.09.04 and valid up 27.07.07. 
· Applied for Renewal of Consent on 02.07.2010 

· Applied for renewal of authorization under HWM Rules on 02.07.2010.

Decision of Consent Management Committee (Orange) wrt cases of MSW Cell dated 19.01.2010:

Issue letter for rectification of deficiencies observed during the inspection and monitoring of waste water and submission of Bank Guarantee as sought earlier.

Action Taken Report
1. A letter rectification of deficiencies observed during the inspection and monitoring of waste water and submission of Bank Guarantee as sought earlier was issued on 17.02.10. However no reply has received so far.
2. A letter was issued on 16.02.10 regarding “Installation of TOC Analyzer/ BOD Biosensor at SMA Indl Area CETP”.
CETP was inspected by team of DPCC officials on 16.03.10 and observation made is as under: 
· Flow meter at inlet found operational.

· Plastic drunks have been provided for collection of silt near grit chamber. 

As per DPCC analysis report, parameters not complying with the prescribed norms during following months are as under:-

	December, 09
	
January, 10

	Inlet
	Outlet
	Inlet
	Outlet

	TSS-704  
Nickel-5.46  
Cr(T)-22.4

Oil & Grease- 22.4
	         TDS-3240


	TSS- 284

Cr (Total)-4.45
	         Cl-1400

Fluoride-2.3


	 

February, 10

	Inlet
	Outlet

	TSS-372  

	         TDS-2760

      Cl-1080



Decision of Consent Management Committee (Orange) wrt cases of MSW Cell dated 20.04.2010:
Issue letter for rectification of deficiencies observed during the inspection and monitoring of waste water and ask the unit to apply for CTO(R) under Air and Water Acts and Authorization under HWM Rules, within 30 days.

Action taken/ Status after the meeting held on 20.04.2010:

2. Letter Issued for rectification of deficiencies observed during the inspection and monitoring of waste water and asking the unit to apply for Consent to Operate (Renewal) under Air and Water Acts and authorization under HWM Rules, within 30 days on 02.06.2010.

3. Applied for Renewal of Consent on 02.07.2010 
4. Applied for renewal of authorization under HWM Rules on 02.07.2010
5. However, CETP has not submitted its reply regarding the rectification of deficiencies so far.

CETP was inspected by team of DPCC officials on 14.06.2010 and observations made are as under: 
· Removal of scumming is required in tube settler.
As per DPCC analysis report, parameters not complying with the prescribed norms during following months are as under:-

	April,2010
	May,2010

	Inlet
	Outlet
	Inlet
	Outlet

	TSS - 1010        
	Cl – 1620

          
	TSS-512
	BOD- 35 

Cl- 1815

Sulphide – 4.8


	

June, 10

	Inlet
	Outlet

	TSS-340  

	   BOD-35      

      


         

 All Values are in mg/l expect pH
Decision of Consent Management Committee (Orange) wrt cases of MSW Cell dated  09.08.2010:

Issue CTO (R) and renewal of authorization under HWM Rules , subject to  condition that the BOD level is within limit . 

Chairman
M. S.
      Member    Prof. S.K Gupta      SEE  EE
 AEE     
DPCC      DPCC      Env. Deptt.   Member (Acd. Inst) (MSW) MSWM Cell

                                         OKHLA CETP  (24 MLD)
Consent status of CETP

· Applied for Consent to Operate on 28.07.04. Consent to operate issued on 15.09.2004 and valid up 27.07.07. 
· Applied for renewal of consent on 13-02-07.
· Not re- applied for renewal of consent.
· Not re-applied for renewal of authorization under HMW Rules. 
Decision of Consent Management Committee (Orange) wrt cases of MSW Cell dated 19.01.2010:

Issue letter for rectification of deficiencies observed during the inspection and monitoring of waste water and submission of Bank Guarantee as sought earlier. Also, inform the CETP Society that the sludge generated from the plant is to be treated as hazardous waste as per the notification/Rules of MoEF, GOI.
Action Taken Report
1. A letter regarding rectification of deficiencies observed during the inspection and monitoring of waste water and submission of Bank Guarantee as sought earlier. Also, inform the CETP Society that the sludge generated from the plant is to be treated as hazardous waste as per the notification/Rules of MoEF, GOI was issued on 22.02.10. However no reply has been received so far.
2. As decided in DPCC meeting held on 9.12.2009, a letter for installation of TOC Analyzer(s) or BOD Biosensor(s) at Okhla Indl. Area CETP was issued on 16.02.10

3. In response to our letter dated on 16.02.10 CETP has submitted a copy of letter addressed to Chief Project Manager (E&M), DSIIDC stating that since the DSIIDC has constructed the CETP it is requested that they should only take necessary action.

CETP was inspected by team of DPCC officials on 12.03.2010 and observations made are as under: 
· Two flow meter found at intake but with totaliser.

· There are two aerators in equalization tank out of which one is out of order.
· There are 24 DP gauges installed with DMFS out of 24 gauges 18are out of order.
· There are 15 ACFS all are not in operation and effluent is being by passed.
As per DPCC analysis report, parameters not complying with the prescribed norms during following months are as under:-

	                   December, 09
	
January, 10

	Inlet
	Outlet
	Inlet
	Outlet

	TSS-320      
  
	BOD-42                  TDS-2030


	TSS-280
	BOD-33


	                   February, 10

	Inlet
	Outlet

	TSS-388
	BOD-38           


    All Values are in mg/l expect pH
Decision of Consent Management Committee (Orange) wrt cases of MSW Cell dated 20.04.2010:

Issue letter for rectification of deficiencies observed during the inspection and monitoring of waste water and ask the unit to apply for CTO(R) under Air and Water Acts and Authorization under HWM Rules, within 1 month.

Action taken/ Status after the meeting held on 20.04.2010:

1. Letter Issued for rectification of deficiencies observed during the inspection and monitoring of waste water and asking the unit to apply for Consent to Operate (Renewal) under Air and Water Acts and authorization under HWM Rules, within 1 month on 04.06.2010. 

2. Not re- applied for renewal of consent.

3. Not re-applied for renewal of authorization under HMW Rules.
4. However, CETP has not submitted its reply regarding rectification of deficiencies.
CETP was inspected by team of DPCC officials on 10.06.2010 and observations made are as under: 

· There are two equalization tanks with two agitators.  Out of which one is used as standby. Both the aerators found in operation, in one equalization tank.

· The 18 DP gauges installed with DMF’s are yet to be installed.

· The treated waste water is being directly discharged to drain after passing through DMF’s only.

· Two flow meters found at intake.

As per DPCC analysis report, parameters not complying with the prescribed norms during following months are as under:-

	April,2010
	May,2010

	Inlet
	Outlet
	Inlet
	Outlet

	     TSS-476   
	 BOD-37

Fluoride-2.4         
	TSS-296
	Cl-1680




	June, 10

	Inlet
	Outlet

	             -
	        BOD-34           


          All Values are in mg/l expect pH
Decision of Consent Management Committee (Orange) wrt cases of MSW Cell dated 09.08.2010:

Issue reminder for renewal of consent under Air and Water Acts and Authorization under HWM Rules, within 1 month.
Chairman
M. S.
      Member    Prof. S.K Gupta      SEE  EE
 AEE     
DPCC      DPCC      Env. Deptt.   Member (Acd. Inst) (MSW) MSWM Cell

                                              NARELA CETP (22  MLD)
Consent status of CETP
· Consent to establish granted on 20.01.04 for a period one year. Applied for consent to operate on 03.03.06. 
· Not re-applied for Renewal of Consent.
· Not re-applied for authorization under HMW Rules. 
Decision of Consent Management Committee (Orange) wrt cases of MSW Cell dated 19.01.2010:
Issue letter for rectification of deficiencies observed during the inspection and monitoring of waste water and submission of Bank Guarantee as sought earlier.

Action Taken Report
1. A letter regarding rectification of deficiencies observed during the inspection and monitoring of waste water and submission of Bank Guarantee as sought earlier was issued on 17.02.10. However no reply has received so far.
2. A letter was issued on 16.02.10 regarding “Installation of TOC Analyzer/ BOD Biosensor at Narela CETP”
CETP was inspected by team of DPCC officials on 31.03.10 and observations made are as under: 
- Flow meter installed near Raw Effluent Pumping Station is found non        operational. 

- All the 16 sludge drying beds are fully occupied and there is no further space for disposal of sludge.

- Treated water from clarifier is being by passed to the post chlorination tank as DMFs and ACFs are not working due to non availability of media. 

- No arrangement is made for proper disposal of slit from grit chamber. 
As per DPCC analysis report, parameters not complying with the prescribed norms during following months are as under:-

	

December, 09
	
January,10

	Inlet
	Outlet
	Inlet
	Outlet

	Zinc-20.4


	BOD-33

Cl-1800
	TSS- 272


	TSS-108

BOD-34

Fluoride-2.9


	Feburary,10

	Inlet
	Outlet

	TSS-372
	BOD-44

Cl-2350

TDS-5160

Fluoride-2.4


All Values are in mg/l expect pH
Decision of Consent Management Committee (Orange) wrt cases of MSW Cell dated 20.04.2010:
Issue letter for rectification of deficiencies observed during the inspection and monitoring of waste water and ask the unit to apply for CTO(R) under Air and Water Acts and Authorization under HWM Rules, within 1 month.


Action taken/ Status after the meeting held on 20.04.2010:

1. Letter Issued for rectification of deficiencies observed during the inspection and monitoring of waste water and asking the unit to apply for Consent to Operate (Renewal) under Air and Water Acts and authorization under HWM Rules, within 1 month on 04.06.2010.

2. In response to our letter DSIIDC, has submitted a letter wherein it is stating that CETP has been handed over to CETP Society in January and has  requested that issues raised in our letter dated 04.06.10 will be taken up with CETP Society Narela. 

3. Not re-applied for Renewal of Consent.

4. Not re-applied for authorization under HMW Rules. 

CETP was inspected by team of DPCC officials on 29.06.2010 and observations made are as under: 
· Flow meter installed near REPS is found not in operation.

· No proper disposal arrangements for silt generated in grit chamber.

· The sludge generated from tube settler and clarifier is disposed off in 16 nos sludge drying beds and all the sludge drying beds have fully occupied.

· The treated wastewater from tube settler and clarifier is being by passed to the post chlorination tank as DMF’s and ACF’s are not working due t non-availability of media.

As per DPCC analysis report, parameters not complying with the prescribed norms during following months are as under:-

	April,2010
	May,2010

	Inlet
	Outlet
	Inlet
	Outlet

	 TSS-328       
	TSS-112

BOD-52

Fluoride-4.5          
	-
	          TSS-112

           BOD-43

         Sulphide-3.6


	June,10

	Inlet
	Outlet

	-
	TSS-122

BOD-40


  

All Values are in mg/l expect pH
Decision of Consent Management Committee (Orange) wrt cases of MSW Cell dated 09.08.2010:

Issue letter seeking application for renewal of consent under Air and Water Acts and Authorization under HWM Rules, within 1 month to Narela CETP Society .

Chairman
M. S.
      Member    Prof. S.K Gupta      SEE  EE
 AEE     
DPCC      DPCC      Env. Deptt.   Member (Acd. Inst) (MSW) MSWM Cell

Udyog Vihar (Bawana) Industrial Area CETP ( 35 MLD)
Consent status of CETP

· Applied for Consent to Establish on 05.08.02. Consent to Establish was granted on 20.01.2004 for a period of one year.
· CETP has submitted an incomplete application for consent to operate without consent fee by speed post on 04.05.2010. 

Decision of Consent Management Committee (Orange) wrt cases of MSW Cell dated 19.01.2010:

Ask the DSIIDC to apply for Consent to Operate and confirm the date of start of operation of CETP so that it will be considered for granting CTO.

Action Taken Report
1. A letter asking to apply for Consent to Operate and confirm the date of start of operation of CETP so that it will be considered for granting CTO was issued on 22.02.10. However no reply has received so far.
Decision of Consent Management Committee (Orange) wrt cases of MSW Cell dated 20.04.2010:
Expedite the inspection and if required issue reminder letter to DSIIDC to apply for Consent to Operate and confirm the date of start of operation of CETP so that it will be considered for granting CTO.
Action taken/ Status after the meeting held on 20.04.2010:

1. Unit was inspected on 17.06.2010 and found not in operation. However, at present the received effluent in receiving chamber is being discharged directly into drain.

2. CETP has submitted an incomplete application for consent to operate without consent fee by speed post on 04.05.2010.
3. As directed a letter for consent fee and other deficiencies has been issued to DSIIDC on 19.07.2010. No reply has been received so far. 

Decision of Consent Management Committee (Orange) wrt cases of MSW Cell dated 09.08.2010:

Put up issue of revised consent fees, wrt CETPs and STPs, in next DPCC meeting. Issue letter to DSIIDC seeking all the documents missing while submitting earlier application.

Chairman
M. S.
      Member    Prof. S.K Gupta      SEE  EE
 AEE     
DPCC      DPCC      Env. Deptt.   Member (Acd. Inst) (MSW) MSWM Cell


Najafgarh Road Industrial area, CETP ( 9.6 MLD)
Consent status of CETP

· DSIDC has submitted a letter dated 03.08.2007 in respect of DO letter 17.07.2007, that the EPCA has already directed not to go for further construction in view of spare capacity in other functional CETPs. As regards settling the dispute with the contractor, DSIDC looking into it as per the terms of the contract separately.

· DSIDC applied for Consent to Establish on 03-07-02.

· Letter issued by DPCC on 17-02-04 seeking clarification w.r.t treatment capacity.

· EPCA, in its meeting 10-06-06, asked DPCC to examine the necessity of the CETP.

· Committee has been constituted under the Chairmanship of Dr. B.K Guha.

· Work of estimation of quantity and quality of effluents generated in catchment area of all CETPs awarded to Shriram Institute.

· Report submitted by Shriram Institute.

Report was examined by Dr. B.K Guha Committee and recommended that this area should have separate CETP, since there is no surplus capacity in the CETP in the nearby vicinity.
Decision of Consent Management Committee (MSW) in its meeting dated 12.05.2009:

Member Secsretary to write to new MD, DSIIDC to expedite the work of completion of CETP.

Action Taken Report

 A letter regarding Status as well as expected date for completion of CETPs was issued on 02.06.09.

DSIIDC has submitted a letter dated 01.06.09 wherein it has been informed that the constructional work of CETP has been awarded to M/S J.V. Associates in July-2002 but they abandoned in Oct., 2003 due to strong opposition by locals. Only 10 to 12 percent work has been carried out at site by the contractor before abandoning the work. No further work is being carried out in this CETP. DSIIDC has filed a case for recovery of the paid amount form the contractor. 

Further, the issue of construction of CETP Najafgarh Road was placed before the 226th meetings of the Board of Directors of DSIIDC held on 08.05.09 and it was desired by Board of Directors that DPPC should be requested to take up the matter with Commissioner of Industries regarding settlement of local protest, appropriateness of CETP and release of funds for the construction of CETP Najafgarh. 

Decision of Consent Management Committee (Orange) wrt cases of MSW Cell dated 19.01.2010:

Member Secretary to call a meeting with DSIIDC to expedite the work of completion of CETP.

Action Taken Report
1. Member Secretary, DPCC has convened a meeting on 26.02.2010 with     Sh. Sharad Kumar (Chief Plant Manager, DSIIDC) and minutes of meeting has been sent to DSIIDC for further necessary action. However no action taken report has been received so far.

Decision of Consent Management Committee (Orange) wrt cases of MSW Cell dated 20.0410:

Issue D.O. letter to COI from MS, DPCC, with a copy to MD, DSIIDC. 


Action taken/ Status after the meeting held on 20.04.2010:

1. D.O. letter to COI from MS, DPCC, with a copy to MD, DSIIDC, issued on 04.06.2010.

2. In response to our letter DSIIDC has submitted its reply stating that Industries Department has already assigned the study to Shri Ram Institute for Industrial Research. The detailed study report is still awaited from them.

3. In response to our letter, COI has not submitted any reply. 

Decision of Consent Management Committee (Orange) wrt cases of MSW Cell dated 09.08.2010:

Wait for study report.

Chairman
M. S.
      Member    Prof. S.K Gupta      SEE  EE
 AEE     
DPCC      DPCC      Env. Deptt.   Member (Acd. Inst) (MSW) MSWM Cell

Naraina Industrial Area, CETP ( 21.6 MLD)

Consent status of CETP

· DSIDC applied for Consent to Establish on 02-07-02.

· Letter issued by DPCC on 17-02-04 seeking clarification w.r.t treatment capacity.

·  EPCA, in its meeting 10-06-06, asked DPCC to examine the necessity of the CETP.

· Committee has been constituted under the Chairmanship of Dr. B.K Guha.

· Work of estimation of quantity and quality of effluents generated in catchment area of all CETPs awarded to Shriram Institute.

· Report submitted by Shriram Institute.

· Report was examined by Dr. B.K Guha Committee and it was appraised by the representative of DSIDC that CETP is under installation and it is at final stage of construction and after commissioning of the same may be handed over to CETP Society of the area. 
· CETP has submitted an incomplete application for consent to operate without consent fee by speed post on 04.05.2010. 

Decision of Consent Management Committee (MSW) in its meeting dated 12.05.2009:

Ask the DSIIDC to apply for Consent to Operate and confirm the date of start of operation of CETP.

Action Taken Report

A letter was issued on.28.05.09.

However no reply received.

Decision of Consent Management Committee (Orange) wrt cases of MSW Cell dated 19.01.2010:

Issue reminder to DSIIDC to apply for Consent to Operate and confirm the date of start of operation of CETP.

Action Taken Report
1. A letter asking to apply for Consent to Operate and confirm the date of start of operation of CETP was issued on 22.02.10.
Decision of Consent Management Committee (Orange) wrt cases of MSW Cell dated 20.0410:

Expedite the inspection and if required issue reminder letter to DSIIDC to apply for Consent to Operate and confirm the date of start of operation of CETP so that it will be considered for granting CTO. 

Action taken/ Status after the meeting held on 20.04.2010:

1. Unit was inspected on 11.06.2010 and During the inspection it was informed that CETP is operating on trial run. However, following observations were made:

· As per record available in log book of pump house and record keeping register of CETP sludge the CETP is being operated since 15.12.2009

· Flow meter has installed at effluent transfer pump house. Meter reading- 387995

· There are two equalization tanks with two aerators in each task. One aerator in IInd equalization found non-operational.

· There are two flocculators, but both were found non-operational.  

· There are two sludge lifting pumps in sludge holding tanks but both were found out of order.

· Sludge thickener found not in operation. 

· There are two vacuum filter drums but both are not found in operation.   

· Post chlorination in final treat wastewater is not being done.

· The treated waste water is being passed through 22 DMF’s only. The 14 ACF’s are not being used at present.

· Foaming is observed in final treated effluent.

2. CETP has submitted an incomplete application for consent to operate without consent fee by speed post on 04.05.2010.
3. As directed a letter for consent fee and other deficiencies has been issued to DSIIDC on 19.07.2010. No reply has been received so far. 

Decision of Consent Management Committee (Orange) wrt cases of MSW Cell dated 09.08.2010:

Put up issue of revised consent fees, wrt CETPs and STPs, in next DPCC meeting. Issue letter to DSIIDC seeking all the documents missing while submitting earlier application. Also, ask DSIIDC for rectification of deficiencies observed during the inspection.

Chairman
M. S.
      Member    Prof. S.K Gupta      SEE  EE
 AEE     

DPCC      DPCC      Env. Deptt.   Member (Acd. Inst) (MSW) MSWM Cell

Okhla Industrial Estate CETP ( 1.2 MLD)
Consent status of CETP

· DSIDC applied for Consent to Establish on 06-07-02.

· Letter issued by DPCC on 17-02-04 seeking clarification w.r.t treatment capacity.

· EPCA, in its meeting 10-06-06, asked DPCC to examine the necessity of the CETP.

· Committee has been constituted under the Chairmanship of Dr. B.K Guha.

· Work of estimation of quantity and quality of effluents generated in catchment area of all CETPs awarded to Shriram Institute.

· Report submitted by Shriram Institute.

     Report was examined by Dr. B.K Guha Committee and recommended      that an independent CETP may be installed for this industrial area
Decision of Consent Management Committee (MSW) in its meeting dated 12.05.2009:

No Action.
Decision of Consent Management Committee (Orange) wrt cases of MSW Cell dated 19.01.2010:

No action.

Decision of Consent Management Committee (Orange) wrt cases of MSW Cell dated 20.04.10:

No Action.
Decision of Consent Management Committee (Orange) wrt cases of MSW Cell dated 09.08.2010:

No Action
Chairman
M. S.
      Member    Prof. S.K Gupta      SEE  EE
 AEE     
DPCC      DPCC      Env. Deptt.   Member (Acd. Inst) (MSW) MSWM Cell

Anand Parbat CETP ( 24 MLD)

Consent status of CETP

· DSIDC applied for Consent to Establish on 05.08.02.

· EPCA, in its meeting 10-06-06, asked DPCC to examine the necessity of the CETP. 

· Committee has been constituted under the Chairmanship of Dr. B.K Guha.

· Work of estimation of quantity and quality of effluents generated in catchment area of all CETPs awarded to Shriram Institute.

· Report submitted by Shriram Institute.

· Report was examined by Dr. B.K Guha Committee and recommended that an independent CETP may be installed for this industrial area.

Decision of Consent Management Committee (MSW) in its meeting dated 12.05.2009
No Action.

Decision of Consent Management Committee (Orange) wrt cases of MSW Cell dated 19.01.2010:

No action.

Decision of Consent Management Committee (Orange) wrt cases of MSW Cell dated 20.04.10:

No Action.

Decision of Consent Management Committee (Orange) wrt cases of MSW Cell dated 09.08.2010:

No Action
Chairman
M. S.
      Member    Prof. S.K Gupta      SEE  EE
 AEE     
DPCC      DPCC      Env. Deptt.   Member (Acd. Inst) (MSW) MSWM Cell

                                                                                                                                                                                                                                                                                                         Agenda 5
Badarpur Thermal Power Station
Status of Consent: Consent issued on 27.07.2007 and valid up to 21.03.2010.
                                 Consent was issued on 11-05-2010 and is valid up to 16-02-2013.
Decision of Consent Management Committee (Orange) wrt cases of MSW Cell dated 19.01.2010:
MS, DPCC to take meeting of power plant officials to expedite the issue of installation/modification of ESPs to control of PM emissions and to seek time schedule to control PM emissions.
Action taken/ Status after the meeting held on 19.01.2010:

1. Letter regarding compliance of decision taken in CMC (MSW) meeting held on 19.01.2010 issued on 12.02.2010.

2. Applied for Renewal of Consent on 17.02.2010.

3. Monthly Opacity Meter Monitoring Report received on 06.02.2010.

4. Return for Hazardous Waste received on 28.01.2010.

5. Monthly Environmental Reports received on 20.02.2010 and 20.03.2010.

6. A letter regarding Expansion by addition of 1050 MW (Stage - III), Phase- I, Badarpur Combined Cycle Gas Based Thermal Power Plant of at Badarpur Thermal Power Station, New Delhi – TOR received from MoEF on 19.03.2010. 

7. DPCC Monitoring results for the months of February, March, 2010 are as under:
	S.No.


	Sampling Location


	Concentration in mg/Nm3

	
	
	Particular Matter
	Sulphur Dioxide
	NOx

	
	
	Feb 10
	Mar 10
	Feb. 10
	Mar. 10
	Feb. 10
	Mar. 10

	1.
	Duct of unit no. 1A
	88
	71
	480
	488
	204
	340

	2.
	Duct of unit no. 1B
	78
	67
	496
	500
	204
	340

	3.
	Duct of unit no. 2A
	92
	116
	468
	480
	228
	317

	4.
	Duct of unit no. 2B
	81
	99
	508
	472
	228
	317

	5.
	Duct of unit no. 3A
	96
	99
	508
	484
	232
	250

	6.
	Duct of unit no. 3B
	82
	102
	512
	504
	232
	250

	7.
	Duct of unit no. 4A
	64
	97
	560
	520
	292
	297

	8.
	Duct of unit no. 4B
	71
	90
	536
	528
	292
	297

	9.
	Duct of unit no. 5A
	#
	#
	#
	#
	#
	#

	10.
	Duct of unit no. 5B
	#
	#
	#
	#
	#
	#


#- Shut Down/ Under Maintenance







8. DPCC Monitoring reports for waste water from Ash Pond for the month of February, 2010 is as under:

	Date of Monitoring 

 
	Ash Pond Discharge 
	Condenser Cooling Water
	STP
	Remarks 

	
	pH
	TSS
	Oil & Grease
	pH
	Temperature Difference 
	Free available Chlorine
	pH
	TSS
	Oil &

Grease
	BOD
	COD
	

	Standards 
	6.5-8.5
	100
	20
	6.5-8.5
	Not more than 100C higher than intake water temperature 
	0.50
	6.5-9.0
	50
	10
	30
	250
	STP Standards 

	08.01.2010
	8.5
	34
	<1.0
	7.9
	9.2
	Nil 
	7.7
	18
	2.0
	20
	92
	--


9. Meetings with the unit regarding reducing of Particulate Matter Level to 50 mg/Nm3 were taken on 19.02.2010 and 12.04.2010. 

10. Action plan from the unit received on 12.04.2010 regarding limiting the PM in stack as <50 mg/Nm3. Action plan in this regard is as follows:

(i) Award of work for bringing down PM levels below to 50 mg/Nm3 in 2X 210 MW by June 2010.

(ii) Award of work for bringing down PM levels below to 150 mg/Nm3 in 3 X 95 MW by July 2010.

(iii) Awarded the EIA study for installation of 1050 MW gas based unit on 12.03.2010.

(iv) Closure of coal based 3X95 MW units to be done after commissioning of 1050 MW gas based unit.

Decision of Consent Management Committee (Orange) wrt cases of MSW Cell dated 20.04.2010:
Issue CTO(R).

Action taken/ Status after the meeting held on 20.04.2010:

1. CTO (R) under water and air act was issued on 11-05-2010 and is valid up to 16-02-2013.

2. DPCC  Monitoring results for the months of May, June, July 2010 are as under:
	S.No.


	Sampling Location


	Concentration in mg/Nm3

	
	
	Particular Matter
	Sulphur Dioxide
	NOx

	
	
	May. 10
	June 10
	July 10
	May. 10
	June 10
	July 10
	May. 10
	June 10
	July 10

	1.
	Duct of unit no. 1A
	96
	#
	72
	380
	#
	320
	236
	#
	175

	2.
	Duct of unit no. 1B
	78
	#
	58
	396
	#
	293
	236
	#
	175

	3.
	Duct of unit no. 2A
	101
	72
	63
	388
	435
	320
	292
	220
	119

	4.
	Duct of unit no. 2B
	107
	73
	68
	390
	460
	346
	292
	220
	119

	5.
	Duct of unit no. 3A
	#
	65
	57
	#
	480
	213
	#
	262
	138

	6.
	Duct of unit no. 3B
	#
	91
	67
	#
	
	240
	#
	262
	138

	7.
	Duct of unit no. 4A
	64
	#
	#
	440
	#
	#
	300
	#
	#

	8.
	Duct of unit no. 4B
	59
	#
	#
	424
	#
	#
	300
	#
	#

	9.
	Duct of unit no. 5A
	70
	108
	81
	420
	500
	415
	272
	292
	115

	10.
	Duct of unit no. 5B
	65
	67
	56
	412
	490
	370
	272
	292
	115


# Shut Down/ Under Maintenance








DPCC Monitoring reports for waste water quality from Ash Pond for the month of April, May and June 2010 is as under:

April 2010
	Date of Monitoring 

 
	Ash Pond Discharge 
	Condenser Cooling Water
	STP
	Remarks 

	
	pH
	TSS
	Oil & Grease
	pH
	Temperature Difference 
	Free available Chlorine
	pH
	TSS
	Oil &

Grease
	BOD
	COD
	

	Standards 
	6.5-8.5
	100
	20
	6.5-8.5
	Not more than 100C higher than intake water temperature 
	0.50
	6.5-9.0
	50
	10
	30
	250
	STP Standards 

	9-04-10
	7.8
	16
	0.4
	7.5
	9.5
	Nil 
	8.0
	14
	0.8
	12
	32
	--


                                                            May 2010

	Date of Monitoring 

 
	Ash Pond Discharge 
	Condenser Cooling Water
	STP
	Remarks 

	
	pH
	TSS
	Oil & Grease
	pH
	Temperature Difference 
	Free available Chlorine
	pH
	TSS
	Oil &

Grease
	BOD
	COD
	

	Standards 
	6.5-8.5
	100
	20
	6.5-8.5
	Not more than 100C higher than intake water temperature 
	0.50
	6.5-9.0
	50
	10
	30
	250
	STP Standards 

	07.05.10
	7.8
	18
	<1.0
	7.3
	9.8
	Nil 
	7.0
	44
	2.0
	21
	80
	--


                                                  June 2010

	Date of Monitoring 

 
	Ash Pond Discharge 
	Condenser Cooling Water
	STP
	Remarks 

	
	pH
	TSS
	Oil & Grease
	pH
	Temperature Difference 
	Free available Chlorine
	pH
	TSS
	Oil &

Grease
	BOD
	COD
	

	Standards 
	6.5-8.5
	100
	20
	6.5-8.5
	Not more than 100C higher than intake water temperature 
	0.50
	6.5-9.0
	50
	10
	30
	250
	STP Standards 

	08.06.2010
	7.4
	24
	0.8
	7.4
	9.5
	Nil 
	7.7
	40
	2.0
	16
	86
	--


3. Monthly Environmental Reports of NTPC limited of March 2010, April 2010, May 2010, June 2010 was received on 19.04.2010, 20.05.2010, 24.06.2010, and 22.07.2010 respectively.

4. Environmental statement for the Year, 2009-2010 in respect of Badarpur Thermal Power station was received on 29.06.2010.
5. For regulating the SPM emission, DPCC has decided to enforce stringent norms of 50 mg/ Nm3. regarding this MS, DPCC took a meeting in his chamber.

6. In compliance of meeting BTPS has submitted its action plan.

Decision of Consent Management Committee (Orange) wrt cases of MSW Cell dated 09.08.2010:
Issue renewal of authorization under HWM Rules.

Chairman
M. S.
      Member        Prof. S.K Gupta
SEE
     EE
      AEE 

DPCC
DPCC    Env. Deptt.    Member (Acd. Inst)   
(MSW) MSWM Cell

 Rajghat Power Station
Status of Consent: Applied for “Consent to Operate” on 30.06.2004. Now the unit has further applied for Consent to Operate on 17.04.09.  
Decision of Consent Management Committee (Orange) wrt cases of MSW Cell dated 19.01.2010:
Issue CTO(R). MS, DPCC to call a meeting of the officials of TPP to seek time schedule to control PM emissions.
Action taken/ Status after the meeting held on 19.01.2010:

1. Letter regarding compliance of decision taken in CMC (MSW) meeting held on 19.01.2010 issued on 12.02.2010.

2. Reply received on 16.03.2010 regarding compliance of decision taken in CMC (MSW) meeting held on 19.01.2010.

3. Return for Hazardous Waste received on 20.01.2010.

4. Environmental status/ Pollution measures report for the month of December, 2009, January and February, 2010 in regard to RPH dated 30.01.2010, 22.02.2010 and 29.03.2010 received. 
5. Monthly report for stack emission of RPH for the month of January and February 2010 dated 06.02.2010 and 06.03.2010 received. 
	
S.No.


	Sampling Location


	Concentration in mg/Nm3

	
	
	Particular Matter
	Sulphur Dioxide
	Nox

	
	
	Feb. 10
	Mar. 10
	Feb. 10
	Mar. 10
	Feb. 10
	Mar. 10

	1.
	Duct of unit no. IA
	244
	225
	420
	440
	243
	283

	2.
	Duct of unit no. IB
	215
	249
	432
	460
	243
	283

	3.
	Duct of unit no.IIA
	#
	#
	#
	#
	#
	#

	4.
	Duct of unit no. IIB
	#
	#
	#
	#
	#
	#


6. DPCC Monitoring results for the months of February, March, 2010 are as under:
# - Shut Down/ Under Maintenance.

7. DPCC Monitoring reports for waste water from Ash Pond for the month of February, 2010 is as under:

	Date of Monitoring 

 
	Ash Pond Discharge 
	Condenser Cooling Water
	STP
	Remarks 

	
	pH
	TSS
	Oil & Grease
	pH
	Temperature Difference 
	Free available Chlorine
	pH
	TSS
	Oil &

Grease
	BOD
	COD
	

	Standards 
	6.5-8.5
	100
	20
	6.5-8.5
	Not more than 100C higher than intake water temperature 
	0.50
	6.5-9.0
	50
	10
	30
	250
	STP Standards 

	04.01.2010
	--
	--
	--
	--
	--
	--
	--
	--
	--
	--
	--
	No flow in Ash Pond.


8. Meetings with the unit regarding reducing of Particulate Matter Level to 80 mg/Nm3 were taken on 19.02.2010 and 12.04.2010.
Decision of Consent Management Committee (Orange) wrt cases of MSW Cell dated 20.04.2010:
No Action.

Action taken/ Status after the meeting held on 20.04.2010

1. Environmental status/ Pollution measures report for the month of April, May, June 2010 in regard to RPH dated 25.05.2010, 15.06.2010 and 20.07.2010 received. 
2. Letter was received from assistant manager (Envt. Cell) Rajghat power House referring to our earlier letter dated 15.07.2004 stating that Rajghat power House has  submitted application form along with requisite documents before one month of the expiry of the referred authorization under HW(M&H) Rules, 1989 but it has not received the renewed authorization against the previous authorization no. DPCC/HWM/2004/37 dated 15.07.04 which was valid for two years. And has requested for renewed authorization about the authorized TSDF to dispose off spent resin etc.

3. DPCC Monitoring results for the months of April, May, June, July  2010 are as under:
	
S.No.


	Sampling Location


	Concentration in mg/Nm3

	
	
	Particular Matter
	Sulphur Dioxide
	Nox

	
	
	Apr 10
	May 10
	Apr 10
	May 10
	Apr 10
	May 10

	1.
	Duct of unit no. IA
	
	#
	
	#
	
	#

	2.
	Duct of unit no. IB
	
	#
	
	#
	
	#

	3.
	Duct of unit no.IIA
	
	185
	
	360
	
	282

	4.
	Duct of unit no. IIB
	
	174
	
	380
	
	282

	
S.No.


	Sampling Location


	Concentration in mg/Nm3

	
	
	Particular Matter
	Sulphur Dioxide
	Nox

	
	
	June 10
	July 10
	June 10
	July 10
	June 10
	July 10

	1.
	Duct of unit no. IA
	#
	#
	#
	#
	#
	#

	2.
	Duct of unit no. IB
	#
	#
	#
	#
	#
	#

	3.
	Duct of unit no.IIA
	145
	203
	424
	280
	267
	166

	4.
	Duct of unit no. IIB
	172
	145
	400
	300
	267
	166


4. DPCC Monitoring reports for waste water quality from Ash Pond for the month of April, May and June  2010 is as under:      

April 2010

	Date of Monitoring 

 
	Ash Pond Discharge 
	Condenser Cooling Water
	STP
	Remarks 

	
	pH
	TSS
	Oil & Grease
	pH
	Temperature Difference 
	Free available Chlorine
	pH
	TSS
	Oil &

Grease
	BOD
	COD
	

	Standards 
	6.5-8.5
	100
	20
	6.5-8.5
	Not more than 100C higher than intake water temperature 
	0.50
	6.5-9.0
	50
	10
	30
	250
	STP Standards 

	04.01.2010
	7.9
	44
	1.2
	--
	--
	--
	--
	--
	--
	--
	--
	


May 2010

	Date of Monitoring 

 
	Ash Pond Discharge 
	Condenser Cooling Water
	STP
	Remarks 

	
	pH
	TSS
	Oil & Grease
	pH
	Temperature Difference 
	Free available Chlorine
	pH
	TSS
	Oil &

Grease
	BOD
	COD
	

	Standards 
	6.5-8.5
	100
	20
	6.5-8.5
	Not more than 100C higher than intake water temperature 
	0.50
	6.5-9.0
	50
	10
	30
	250
	STP Standards 

	04.01.2010
	7.9
	12
	< 1.0
	---
	--
	--
	--
	--
	--
	--
	--
	


June 2010

	Date of Monitoring 

 
	Ash Pond Discharge 
	Condenser Cooling Water
	STP
	Remarks 

	
	pH
	TSS
	Oil & Grease
	pH
	Temperature Difference 
	Free available Chlorine
	pH
	TSS
	Oil &

Grease
	BOD
	COD
	

	Standards 
	6.5-8.5
	100
	20
	6.5-8.5
	Not more than 100C higher than intake water temperature 
	0.50
	6.5-9.0
	50
	10
	30
	250
	STP Standards 

	04.01.2010
	7.9
	12
	1.6
	--
	--
	--
	--
	--
	--
	--
	--
	


4. For regulating the SPM emission, DPCC has decided to enforce stringent norms of 50 mg/ Nm3. regarding this MS, DPCC took a meeting in his chamber.

5. In compliance of meeting RPH has submitted its action plan.

Decision of Consent Management Committee (Orange) wrt cases of MSW Cell dated 09.08.2010:
Seek present status regarding progress in action taken to comply with the norm of 50mg/Nm3 w.r.t Particulate Matter.

Chairman
M. S.
      Member        Prof. S.K Gupta
SEE
     EE
      AEE 

DPCC
DPCC    Env. Deptt.    Member (Acd. Inst)   
(MSW) MSWM Cell


Pragati Power Station, ITO
Status of Consent: Applied for renewal of the Consent vide ID. No. 24530 dated 18.12.07, valid up to 12.01.2011.

Decision of Consent Management Committee (Orange) wrt cases of MSW Cell dated 19.01.2010:
Issue renewal of consent
Action taken/ Status after the meeting held on 19.01.2010:
1. Renewal of Consent already valid up to 12.01.2011.

2. Hazardous Waste Return w.r.t. Jan 09- Dec 10 received on 20.01.2010.

3. Letters regarding Pollution measures report for the months of December, 09 and February, 10 received on 30.01.2010 and 29.03.2010 respectively.

4. DPCC Monitoring results for the months of February & March, 2010 are as under:
	S.No
	Sampling Location 
	Concentration of NOx in ppm

	
	
	Feb. 10
	Mar. 10

	1.
	Duct of unit-I
	20
	20

	2.
	Duct of unit-II
	10
	10


5. DPCC Monitoring reports for waste water from Ash Pond for the month of February & March, 2010 are as under:

	Date of Monitoring 

 
	Ash Pond Discharge 
	Condenser Cooling Water
	CMB
	Remarks 

	
	pH
	TSS
	Oil & Grease
	pH
	Temperature Difference 
	Free available Chlorine
	pH
	TSS
	Oil &

Grease
	BOD
	COD
	

	Standards 
	6.5-8.5
	100
	20
	6.5-8.5
	Not more than 100C higher than intake water temperature
	0.50
	6.5-9.0
	50
	10
	30
	250
	STP

Standards 

	06.01.2010
	--
	--
	--
	--
	--
	--
	7.5
	28
	1.6
	26
	100
	--


Decision of Consent Management Committee (Orange) wrt cases of MSW Cell dated 20.04.2010:
No Action.

Action taken/ Status after the meeting held on 20.04.2010:
1. Letters regarding Pollution measures report for the months of March 2010, April 2010, May 2010 and June 2010 received on 26.04.2010, 25.05.2010, 15.06.2010 and 12.07.2010 respectively.

2. Letter was received from assistant manager (Envt. Cell) Pragati power station referring to our earlier letter dated 15.07.2004 stating that Pragati power station has  submitted application form along with requisite documents before one month of the expiry of the referred authorization under HW(M&H) Rules, 1989 but it has not received the renewed authorization against the previous authorization no. DPCC/HWM/2004/36 which was valid for two years. And has requested for renewed authorization about the authorized TSDF to dispose off spent resin etc.

3. DPCC Monitoring results for the months of May, June, July 2010 are as under:
	S.No.


	Sampling Location


	Concentration in mg/Nm3

	
	
	Particular Matter
	Sulphur Dioxide
	Nox

	
	
	May

10
	June 10
	July

10
	May 10
	June

10
	July

10
	May

10
	June 10
	July

10

	1.
	Duct of unit no. I
	--
	--
	--
	--
	--
	--
	20
	20
	20

	2.
	Duct of unit no. II
	--
	--
	--
	--
	--
	--
	10
	15
	20


DPCC Monitoring reports for waste water from Ash Pond for the month of May, June, 2010 are as under:

	Date of Monitoring 

 
	Ash Pond Discharge 
	Condenser Cooling Water
	CMB
	Remarks 

	
	pH
	TSS
	Oil & Grease
	pH
	Temperature Difference 
	Free available Chlorine
	pH
	TSS
	Oil &

Grease
	BOD
	COD
	

	Standards 
	6.5-8.5
	100
	20
	6.5-8.5
	Not more than 100C higher than intake water temperature
	0.50
	6.5-9.0
	50
	10
	30
	250
	STP

Standards 

	05.05.10
	--
	--
	--
	--
	--
	--
	7.4
	28
	1.2
	18
	96
	--

	04.06.10
	--
	--
	--
	--
	--
	--
	7.9
	32
	1.0
	25
	90
	- 


Decision of Consent Management Committee (Orange) wrt cases of MSW Cell dated 09.08.2010:
No Action.

Chairman
M. S.
      Member        Prof. S.K Gupta
SEE
     EE
      AEE 

DPCC
DPCC    Env. Deptt.    Member  (Acd. Inst)   (MSW) MSWM Cell
I.P. Gas Turbine Power Station
 Status of Consent: Applied for renewal of the Consent vide ID. No. 24589 dated 27.12.07, valid up to 04.01.2011.

Decision of Consent Management Committee (Orange) wrt cases of MSW Cell dated 19.01.2010:
No Action.

Action taken/ Status after the meeting held on 19.01.2010:
1. Hazardous Waste Return w.r.t. Jan 09- Dec 10 received on 20.01.2010.

2. Environmental Status Pollution Measures Report for the months of December 2009 and January 2010 dated 30.01.2010 and 16.02.2010 respectively, received.
3. DPCC Monitoring results for the months of February & March, 2010 are as under:
	S. No.
	Sampling Location


	Concentration in ppm

	
	
	NOx

	
	
	Feb. 10
	Mar. 10

	1.
	GT-1
	70
	70

	2.
	GT-2
	70
	##

	3.
	GT-3
	60
	70

	4.
	GT-4
	##
	#

	5.
	GT-5
	#
	60

	6.
	GT-6
	70
	60


4. DPCC Monitoring reports for waste water from Ash Pond for the month of February 2010 are as under:

	Date of Monitoring 

 
	Ash Pond Discharge 
	Condenser Cooling Water
	CMB
	Remarks 

	
	pH
	TSS
	Oil & Grease
	pH
	Temperature Difference 
	Free available Chlorine
	pH
	TSS
	Oil &

Grease
	BOD
	COD
	

	Standards 
	6.5-8.5
	100
	20
	6.5-8.5
	Not more than 100C higher than intake water temperature
	0.50
	6.5-9.0
	50
	10
	30
	250
	STP

Standards 

	06.01.2010
	--
	--
	--
	--
	--
	--
	--
	--
	--
	--
	--
	Non-Operational


Decision of Consent Management Committee (Orange) wrt cases of MSW Cell dated 20.04.2010:
No Action.

Action taken/ Status after the meeting held on 20.04.2010:
1. Environmental Status Pollution Measures Report for the months of March April May, June 2010 dated 26.04.2010, 25.05.2010, 21.06.2010 and 12.07.2010 respectively, received.
2. Letter was received from assistant manager (Envt. Cell) Pragati power station referring to our earlier letter dated 15.07.2004 stating that Pragati power station has  submitted application form along with requisite documents before one month of the expiry of the referred authorization under HW(M&H) Rules, 1989 but it has not received the renewed authorization against the previous authorization no. DPCC/HWM/2004/38 dated 15.07.04 which was valid for two years. And has requested for renewed authorization about the authorized TSDF to dispose off spent resin etc.

3. DPCC Monitoring results for the months of May, June and July,2010 are as under:

	

S.No.


	Sampling Location


	Concentration in ppm

	
	
	Nox

	
	
	May,10
	June, 10
	July,10

	1.
	GT-1
	70
	70
	70

	2.
	GT-2
	70
	70
	70

	3.
	GT-3
	60
	60
	#

	4.
	GT-4
	#
	60
	#

	5.
	GT-5
	#
	60
	70

	6.
	GT-6
	##
	60
	70


# -GT Shut Down, ## Boiler of STG Shut Down
4. DPCC Monitoring reports for waste water from Ash Pond for the month of April, May and June 2010 are as under:
	Date of Monitoring 

 
	Ash Pond Discharge 
	Condenser Cooling Water
	ETP
	Remarks 

	
	pH
	TSS
	Oil & Grease
	Ph
	Temperature Difference 
	Free available Chlorine
	pH
	TSS
	Oil &

Grease
	BOD
	COD
	

	Standards 
	6.5-8.5
	100
	20
	6.5-8.5
	Not more than 100C higher than intake water temperature 
	0.50
	6.5-9.0
	50
	10
	30
	250
	STP Standards 

	07.04.2010
	--
	--
	--
	--
	--
	--
	7.5
	26
	0.4
	15
	80
	--

	05.05.2010
	--
	--
	--
	--
	--
	--
	7.6
	20
	1.6
	16
	76
	--

	04.06.2010
	--
	--
	--
	--
	--
	--
	7.7
	40
	2.0
	16
	86
	--


Decision of Consent Management Committee (Orange) wrt cases of MSW Cell dated 09.08.2010:

No Action.

Chairman
M. S.
      Member        Prof. S.K Gupta
SEE
     EE
      AEE 

DPCC
DPCC    Env. Deptt.    Member (Acd. Inst)   
(MSW) MSWM Cell
Pragati Power Station , Bawana

Status of Consent: Consent to establish issued for one year for 1600 MW on 27/7/2007.

Decision taken in meeting held on 26.06.2007:

Issue consent to the unit for 1600 MW considering Environmental Clearance granted by MoEF for 1600 MW.

Action taken/ Status w.r.t. the meeting held on 26.06.2007:

Consent to establish issued for one year for 1600 MW on 27/7/2007.

Decision of Consent Management Committee in its meeting dated 19.10.2007:

No action.

Remarks:-
No application for extension of  consent to establish received.

Decision of Consent Management Committee in its meeting dated 29.07.2008:
Ask the unit to file latest status report and item-wise compliance of Environmental Clearance conditions through an affidavit within one month. 

Action taken/ Status after the meeting held on 29.07.08:

Letter issued on 14.08.08.  Reply dated 12.09.08 received from the unit with para wise compliance and present status of the project.  Accordingly, contract was awarded to BHEL on 30.04.08.  Preparation of drawings, design memorandums etc. by BHEL are in progress.  BHEL has also completed the Survey and Soil Investigation of the site.  The Civil Works are schedule to commence by October, 2008.

Decision of CMC (MSW) in its meeting dated 10.10.2008:

No action. 
Decision of Consent Management Committee (MSW) its meeting dated 05.12.2008:

The progress report along with PERT and CPM chart may be asked.

Action taken/ Status after the meeting held on 05.12.08:
Letter issued on 29.12.08. A reply dated 20.01.09 received form the unit enclosing with progress of the work and copy of L-1/PERT Network.   The progress of the project is as under:- 

Hon’ble Prime Minister laid the foundation stone.

Turn Key Contract awarded to BHEL.

Contract signed.

BHEL has awarded civil contract to M/s. Era who have since mobilized at site.  The construction of boundary wall is in progress since 30.09.08.

Pilling work has also started since 20.12.08.

Excavation, leveling and dressing work are also in progress.

Design and Engineering of various equipments is also in progress.

Decision of Consent Management Committee (MSW) its meeting dated 23.01.2009:

No action.

Decision of Consent Management Committee (MSW) its meeting dated 12.05.2009:
No action.

Decision of Consent Management Committee (Orange) wrt cases of MSW Cell dated 19.01.2010:
Ask the unit to submit progress report on construction and commissioning of the plant and apply for CTO before operation of the project.
Action taken/ Status after the meeting held on 19.01.2010:
1. Letter w.r.t. Compliance of ssCommittee (MSW) meeting held on 19.01.2010 issued on 12.02.2010.

2. Reply Awaited.

Decision of Consent Management Committee (Orange) wrt cases of MSW Cell dated 20.04.2010:
Issue D.O. letter from MS, DPCC to Secretary (Power), GNCTD seeking progress report on construction and commissioning of the plant and urge them to apply for CTO before commissioning of the project.
Action taken/ Status after the meeting held on 20.04.2010:
1. D.O letter from MS, DPCC to Secretary (Power), GNCTD seeking progress report on construction and commissioning of the plant and urge them to apply for CTO before commissioning of the project was issued on 02.06.2010.

2. Reply awaited.

Decision of Consent Management Committee (Orange) wrt cases of MSW Cell dated 09.08.2010

Issue reminder asking the unit to apply for CTO.

Chairman
M. S.
      Member        Prof. S.K Gupta
SEE
     EE
      AEE 

DPCC
DPCC    Env. Deptt.    Member (Acd. Inst)   
(MSW) MSWM Cell

Combined Cycle Power Plant at Sector-11, Rohini, Delhi BY NDPL

Status of Consent: Applied for Consent to establish for 108 MW on 10.07.08.

Details of the Project:

Proposed capacity of the plant is 108 MW (Natural Gas based Combined Cycle Power Plant). 

Plot Area     :- 



24281 sq. m 

No. of workers 
:-


60

Proposed date of commissioning: -
May, 2009 (Open Cycle) and August, 2009 





(Closed Cycle).

Total Capital Investment :-

Rs. 256.48 Crores

Water consumption: -


8640 KLD (Treated Effluent from Rithala 





STP).

ETP proposed for treatment of 4320 KLD and after treatment effluent will be utilized for floor washing, dust suppression and greenbelt while the remaining will be discharged to nallah near the project site.  As per the norms.

Domestic effluent:-


108 KLD to be disposed of Sewer of Drain. 

No D.G. Set proposed 




Remarks:-  An application for hearing under EIA notification has also been received in DPCC and is under process by Consent Management Cell. Public hearing is scheduled on 22.08.08. 
Decision of Consent Management Committee (Orange) wrt cases of MSW Cell dated 19.01.2010:
Ask the unit to submit progress report on construction and commissioning of the plant and apply for CTO before operation of the project.
Action taken/ Status after the meeting held on 19.01.2010:
1. Letter w.r.t. Compliance of Committee (MSW) meeting held on 19.01.2010 issued on 12.02.2010.

2. Reply dated 24.02.2010 received along with progress report on construction and commissioning of unit. Progress report states that the schedule for commissioning of open cycle by June, 2010 and combined cycle by July, 2010.

Decision of Consent Management Committee (Orange) wrt cases of MSW Cell dated 20.04.2010:
Ask the unit to submit application for CTO under Air and Water Acts, well before commissioning of the project.
Action taken/ Status after the meeting held on 20.04.2010:
1. A letter asking the unit to submit application for CTO under Air and Water Acts, well before commissioning of the project was issued on 24.05.2010.

2. A letter is received by General Manager, Power Management & Corporate Commercial; regarding Consent to Operate in which they have stated that they will file an application for ‘Consent to Operate’ well before commissioning CCPP.
Decision of Consent Management Committee (Orange) wrt cases of MSW Cell dated 09.08.2010:
No action

Chairman
M. S.
      Member        Prof. S.K Gupta
SEE
     EE
      AEE 

DPCC
DPCC    Env. Deptt.    Member (Acd. Inst)   
(MSW) MSWM Cell

Pragati Power Corporation Ltd., Bamnauli

Name of the agency: M/s Pragati Power Corporation Ltd., IP Estate, Ring Road, New Delhi.
Particulars of the project: Generating Electricity 
Status of Consent: 

Applied for consent to establish under Air & Water Acts vided ID. No. 31499 dt. 18.09.09.
Details of the project: 

Proposed activities are for generating electricity of 750 MW (Nominal)/8010 MW (max). 

Proposed Investment on the project is Rs.3022.17 crores.

Total Plot Area is 2,00,000 sq m

Built up area- 1,00,000 sq m.

Proposed to be commissioned from 2011-12.

No of workers & other staff- 480 persons
Water consumption:

Domestic – NIL, 

Industrial cooling – 38,400 KLD, 
Processing – 2,400 KLD,
Other (Gardening) – 2,400 KLD

Quantity of domestic waste generated is 10 KLD and Industrial is 19920 KLD.
DG Sets proposed to be installed – 2 X 1500 KVA with acoustic enclosure.

Perpetual lease by DDA for this land is enclosed.  
Environmental Clearance Status:

    Yet to be obtained.

Remarks:

1. Unit applied for CTE along with EIA report with a request to conduct public hearing.

2. No request/direction from MoEF, GOI received for conducting public hearing, before issuance of EC. 
Decision of Consent Management Committee (Orange) wrt cases of MSW Cell dated 19.01.2010:
SEE to check with the department of Power, GNCTD, Dy. Commissioner and MoEF and put the file on the issue of conducting public hearing without waiting for minutes. 

Action taken/ Status after the meeting held on 19.01.2010:
1. Public Notice for public hearing published on 12.03.2010.

2. Public Hearing conducted in the office of Deputy Commissioner (South- West) on 16.04.2010, Minutes/ Findings/ Outcomes of the hearing are under preparation.

Decision of Consent Management Committee (Orange) wrt cases of MSW Cell dated 20.04.2010:
Await for Environmental Clearance (EC).

Decision of Consent Management Committee (Orange) wrt cases of MSW Cell dated 09.08.2010:
No action
Chairman
M. S.
      Member        Prof. S.K Gupta
SEE
     EE
      AEE 

DPCC
DPCC    Env. Deptt.    Member (Acd. Inst)   
(MSW) MSWM Cell

	Status of Fly ash generation and its utilization by Thermal Power Plants 

	
	
	
	
	
	
	
	
	

	The monthly tabular status of three coal based Power Plant is as given below:

	1. I.P. Thermal Power Station 

	
	
	
	
	
	
	
	
	

	S. No.
	Month
	Ash Generation & Utilization
	Ash Utilization in the main area (LTPM)

	
	
	Ash Gen. 
(LTPM)
	Ash Utilization
((LTPM)
	% Utilization 
	Bricks 
	Cement 
	Road & 
Embankment 
	Land filling
& others 

	1
	April, 2008
	0.278
	0.297
	106.83
	0.056
	--
	0.023
	0.218

	2
	May, 2008
	0.317
	0.16
	50.47
	0.06
	--
	0.104
	0.1

	3
	June, 2008
	0.246
	0.337
	136.99
	0.03
	--
	0.093
	0.203

	4
	July, 2008
	0.244
	0.316
	129.5
	0.022
	0.055
	0.074
	0.146

	5
	Aug., 2008
	0.209
	0.154
	73.68
	0.013
	0.025
	0.061
	0.042

	6
	Sept, 2008
	0.170
	0.219
	128.82
	0.035
	0.045
	0.01
	0.078

	7
	Oct., 2008
	0.193
	0.461
	238.86
	0.031
	0.035
	--
	0.385

	8
	Nov., 2008
	0.193
	0.336
	174.91
	0.035
	0.03
	--
	0.301

	9
	Dec., 2008
	0.274
	0.37
	135.04
	0.028
	0.077
	0.365
	0.265

	 
	Total 
	2.124
	2.68
	 
	0.31
	0.267
	0.73
	1.738

	
	
	
	
	
	
	
	
	

	2. Rajghat Thermal Power Station  

	
	
	
	
	
	
	
	
	

	S. No.
	Month
	Ash Generation & Utilization
	Ash Utilization in the main area (LTPM)

	
	
	Ash Gen. 
(LTPM)
	Ash Utilization
((LTPM)
	% Utilization 
	Bricks 
	Cement 
	Road & 
Embankment 
	Land filling
& others 

	1
	April, 2008
	0.19
	0.172
	84.72
	0.012
	0.011
	0.148
	0

	2
	May, 2008
	0.149
	0.232
	155.7
	0.037
	0.023
	0.172
	0

	3
	June, 2008
	0.179
	0.324
	181
	0.039
	0.036
	0.248
	0

	4
	July, 2008
	0.215
	0.163
	75.81
	0.04
	0.035
	0.087
	0

	5
	Aug., 2008
	0.201
	0.069
	34.32
	0.004
	0.027
	0.037
	0

	6
	Sept, 2008
	0.205
	0.178
	86.8
	0.03
	0.049
	0.021
	0.076

	7
	Oct., 2008
	0.206
	0.075
	36.55
	0.035
	0.004
	 
	0.035

	8
	Nov., 2008
	0.217
	0.181
	83.68
	0.022
	0.044
	 
	0.115

	9
	Dec., 2008
	0.220
	0.155
	70.45
	0.029
	0.051
	 
	0.074

	 
	Total 
	0.178
	1.549
	 
	0.248
	0.28
	0.713
	0.3

	
	
	
	
	
	
	
	
	

	3. Badarpur Thermal Power Station  

	
	
	
	
	
	
	
	
	

	S. No.
	Month
	Ash Generation & Utilization
	Ash Utilization in the main area (TPM)

	
	
	Ash Gen. 
(TPM)
	Ash Utilization
((TPM)
	% Utilization 
	Bricks/ Blocks 
	Cement 
	Road & 
Embankment 
	Land filling
& others 

	1
	April, 2008
	61936
	25550
	26.58
	--
	--
	--
	--

	2
	May, 2008
	101182
	32040
	31.67
	--
	--
	--
	--

	3
	June, 2008
	112169
	33490
	29.86
	--
	--
	--
	--

	4
	July, 2008
	114946
	83050
	72.25
	--
	--
	--
	--

	5
	Aug., 2008
	115469
	88010
	76.22
	--
	--
	--
	--

	6
	Sept, 2008
	130449
	119390
	91.52
	--
	--
	--
	--

	7
	Oct., 2008
	97132
	87920
	90.52
	--
	--
	--
	--

	8
	Nov., 2008
	90129
	101700
	112.84
	--
	--
	--
	--

	9
	Dec., 2008
	92552
	106670
	115.25
	--
	--
	--
	--

	 
	Total 
	950164 
	677820 
	 
	 63070
	16480
	21870
	379570


Decision of Consent Management Committee (Orange) wrt cases of MSW Cell dated 19.01.2010:
Ask the units to submit complete report on generation and utilization of fly ash including cumulative quantity till date.

Action taken/ Status after the meeting held on 19.01.2010:
1. Letters issued to Rajghat Power House and Badarpur Thermal Power Station regarding Compliance of the decision taken in Committee (MSW) meeting held on 19.01.2010, on 12.02.2010.

2. Meetings taken by Member Secretary, DPCC on 19.02.2010 and 05.03.2010 regarding Fly Ash utilization and management.

3. Monthly report on Ash generation and utilization for the months of December, 2009, January and February, 2010 dated 30.01.2010, 20.02.2010 and 17.03.2010 respectively received from Rajghat Power House.

4. Monthly report on Ash generation and utilization for the months of October to December, 2009 dated 26.02.2010 received from I.P. Station.
Decision of Consent Management Committee (Orange) wrt cases of MSW Cell dated 20.04.2010:
Ask the  units to submit complete report on generation and utilization of fly ash including cumulative quantity (enclosing Performa) till date.

Action taken/ Status after the meeting held on 20.04.2010:
1. A letter was issued asking units to submit complete report on generation and utilization of fly ash including cumulative quantity (enclosing Performa) till date on 20.05.2010.

2. A copy of letter was received by GM, IPGCL-PPCL regarding submission of Annual compliance on Fly Ash generation & utilization for the year 2009-10 on 15.06.2010 in response to our earlier letter dated 20.05.2010 

3. Monthly report on Ash generation and utilization for the months of March, April, May, June 2010 dated 15.06.2010 and 16.07.2010 received from Rajghat power house.
Decision of Consent Management Committee (Orange) wrt cases of MSW Cell dated 09.08.2010:
Issue reminder seeking the details of fly ash utilization with cumulative generation since inception.
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Agenda 6
Modern Poultry & Egg market at Ghazipur, New Delhi.

Name of the agency: M/s Delhi Agriculture Marketing Board, 9, Institutional Area, Pankha Road, Janakpuri, New Delhi-110058.
Particulars of the project: Modern Poultry & Egg market at Ghazipur, New Delhi.
Status of Consent: 

Applied for consent to establish under Air & Water Acts vided I` D. No. 24811                            dt 24.01.08 (C/1-98), Consent to Establish issued on 09.02.2010, valid up to 07.02.2011.
Details of the project: 

a. Product is dressing of Poultry birds- 48 lakhs birds/ month. 

b. Raw material is Poultry birds- 576 lakhs/ annum. 

c. Proposed Investment on the project is Rs.133.5 crores.

d. Quantity of waste to be disposed per day is 30 TPD.

e. Total Plot Area is 60200 sq m and Built up area- 48160 sq m

f. Sanctioned Power Load /power required– 2925 KW

g. Proposed to be commissioned from March, 2010.

h. No of workers: 

a) During construction phase – 100 b) During operational phase-   25

i. Water consumption:

Domestic - 91000 LPD, 
Industrial cooling/ boiler feeds - 92000 LPD       processing   - 1120000 LPD,
Other (Gardening) – 108000 LPD

j. Quantity of domestic waste generated is 80000 LPD and Industrial is 1100000 LPD

k. Proposed Effluent Treatment Plant of 1200 KLD with tertiary treatment & UV Irradiation and reuse in flushing, HVAC, DG, Horticulture (C/52 of the file). A STP of 200KLD is also proposed (C/58 of the file). 

l. DG Sets proposed to be installed – 2 X 1000 KVA + 2 X 625 KVA.

m. Land allotted by DDA for this purpose (allotment letter at C/4-6)  

Remarks:

As per the provisions of EIA notification dated 14.09.06 the following construction projects are to be required Environmental Clearance from MoEF:

Building and Construction Projects having built up area ≥ 20000 sqm and < 150000 sqm of built up area. 

Townships and Area Development Projects having covering an area ≥ 50 ha and or built up area ≥150000 sqm.   

Decision of Consent Management Committee (MSW) its meeting dated 12.05.2009:

No action.

Action taken/ Status after the meeting held on 12.05.09:

Unit was inspected on 03.09.09. During the inspection,

The contacted persons from the unit were guided & educated about the requirement of installation of ETP in view of large discharge i.e. 600 KLD from present slaughtering of birds. 
A list of empanelled consultants & approved laboratories alongwith norms were also provided which can further help them in the process of installation of adequate ETP.

The unit can go for testing of inlet sample so as to arrive the norms/ standards prescribed to be meet by the unit. 
Decision of Consent Management Committee (Orange) wrt cases of MSW Cell dated 19.01.2010:
Issue Consent to establish and ask the unit to apply for CTO. 
Action taken/ Status after the meeting held on 19.01.2010:
1. Consent to Establish issued on 09.02.2010, valid up to 07.02.2011.

2. A request dated 15.03.2010 received regarding nomination of an expert from the DPCC, as a special member of the standing Committee of DAMB for finalizing the suitable technology and cost effectiveness for ETP to be constructed by DAMB. Accordingly, As per the approval of Competent Authority Sh. B.M.S. Reddy is named for the same.

3. A inspection was carried out by the officials of DPCC on 13.04.2010 and the findings of the inspection are as under:

(i) The effluent from the unit goes into municipal sewer.

(ii) Unit doesn’t have any treatment facility for the waste generated.

(iii) Boundary wall shows that there is leakage of waste water from the activity.

(iv) Some of the blood spots appears on the boundary wall of the unit.
Decision of Consent Management Committee (Orange) wrt cases of MSW Cell dated 20.04.2010:
MS, DPCC to take a meeting with Director, DAMB.

Action taken/ Status after the meeting held on 20.4.2010:
 A meeting of MS, DPCC with Director, DAMB was held on 02.06.2010 to discuss the issues related to installation of ETP and rectification of the deficiencies observed during the inspection. DAMB was advised to get the consultancy from empanelled consultants of DPCC.

A letter was received from DAMB on 16.06.2010 informing that offer has been invited from the consultants empanelled with DPCC and will be received by 23.06.2010.
Decision of Consent Management Committee (Orange) wrt cases of MSW Cell dated 09.08.2010:
Issue letter to seeking present status regarding installation of ETP and ask the unit to install ETP in 3 months.
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Delhi Food Processing Complex (Meat) at Ghazipur, Delhi

Name & Address: Municipal Corporation of Delhi, Delhi Food Processing Complex (Meat) at Ghazipur, Delhi 

Correspondence Address: MCD Department of Veterinary Services, Room No. 56, Town Hall, Delhi-06
Status of Consent: 

Consent to Establish valid upto 13.09.09. Consent to Operate under Air/ Water Acts valid upto 18.10.2012.
Activity: Slaughter House (1.75 MLD)  

Status: 

Applied for consent to establish under Air & Water Act on 02-06-05 EIA report not submitted alongwith the application.  The case was earlier dealt by EIA Cell and matter was sent to Ministry of Environment & Forest, since issues related to EIA notification and Hon’ble Supreme Court Orders are also involved in this case, letter was also issued on 30-08-07 by EIA Cell regarding seeking information about the Environment clearance by MOEF however reply to the said letter has not been received so far. As directed inspection was conducted by a team comprising of DPCC officials and Dr. T.K.Joshi, Head, CEOH on 24-08-07(Copy enclosed).  During the inspection the civil construction work as well as fixation and erection of machineries was going on.  The work of construction of ETP was also going on. In the vicinity the rendering plant is also coming up and an ETP was also seen.  The inspection of the facility could not be done since no responsible person at the site.  Details of the ETP submitted with the project report mentions about Physico Chemical Treatment.  Since waste water generated from both the section (i) Slaughter House (ii) Rendering Plant has mainly organic waste which is biodegradable, therefore Physico Chemical Treatment should be avoided since as per HW Rules it will be generating Hazardous Waste.  Besides above unit should also go for better sludge handling mechanism Letter was issued followed by the reminder letter as decided by the BMW Committee & Reply along with Report on ETP/ Rapid EIA Report received. MOEF Clearance yet to be received.

Decision of Consent Management Committee (Orange) wrt cases of MSW Cell dated 19.01.2010:
Ask the DPCC lab to conduct the monitoring w.r.t. water / air / noise and boiler without waiting for minutes. Also SEE (MSW) to inspect the premises before the meeting called by CS, GNCTD on 22.01.2010.
Action taken/ Status after the meeting held on 19.01.2010:
1. Analysis report for the treated waste water at ETP, MCD Slaughter House, Ghazipur, Delhi, submitted on 19.01.2010 from the laboratory not indicated in the list of empanelled laboratories of DPCC.

2. Stack monitoring report and Noise monitoring report w.r.t. MCD Slaughter House, Ghazipur, Delhi, submitted by the laboratory of DPCC on 21.01.2010.

3. The unit was inspected by the officials of DPCC on 21.01.2010 and the observations are as under:

(i) Permission from DJB for ground water extraction not available.

(ii) No Rain Water Harvesting System installed.

(iii) Waste water being generated by poultry slaughtering house is not being treated by the MCD.

(iv) Installation of Bio-methanation has not been done.

4. A meeting was taken by Chief Secretary, Delhi on 22.01.2010 to discuss the issues related to Environmental Clearance for MCD Slaughter House.

5. Analysis report of Water Effluent w.r.t. MCD Slaughter House, Ghazipur, Delhi, submitted by the laboratory of DPCC on 25.01.2010.
6. A letter for control of BOD in the treated trade effluent issued on 01.02.2010.

7. Consent to Operate under Air and Water Acts issued on 01.02.2010, valid up to 18.10.2012.

8. A complaint received from CPCB regarding pollution caused by slaughter house located at Ghazipur, Delhi on 11.03.2010.

9. Analysis report of Water Effluent submitted by MCD Slaughter House, Ghazipur, Delhi, from the laboratory of GGSIPU on 30.03.2010. which is as under:

Parameters



Inlet



Outlet

(i) pH


-

7.30



7.50

(ii) TSS


-

63 mg/l


23 mg/l

(iii) Oil and Grease
-

19.60 mg/l


7.20 mg/l

(iv) TDS


-

3030 mg/l


580 mg/l

(v) COD


-

509 mg/l


58.8 mg/l

(vi) BOD5 (20oC)
-

270 mg/l


26 mg/l
10. The unit was inspected by the officials of DPCC w.r.t the complaint received from CPCB on 13.04.2010 and the observations are as under:

(i) During the inspection entire stretch of this unit along the side of U.P. boundary wall leakage of blood/ liquid not observed.

(ii) Slaughter house is completely inhouse and is having an ETP for the treatment of waste generated from this complex.

(iii) Dr. Om Prakash who is manager of the project has told that there might have been leakage during some construction adjoining the wall towards U.P. state electricity grid.

(iv) Now the entire stretch along the U.P. Govt. boundary wall is properly replaced to R.C.C. and there is no scope of leakage of blood or any type of liquid waste.

(v) ETP found in operational condition but it needs major improvement for controlling the Environmental Pollution.
Decision of Consent Management Committee (Orange) wrt cases of MSW Cell dated 20.04.2010:
Obtain the compliance affidavit from the unit.

Action taken/ Status after the meeting held on 20.4.2010:
A letter was issued to the unit on 10.05.2010 regarding the submission of compliance affidavit w.r.t the conditions laid down by MoEF, GoI while issuing environmental clearance.

· No response is received from the unit as well as MCD.

· Consent to operate and establish were given with conditions and compliance is not received so far. 

Decision of Consent Management Committee (Orange) wrt cases of MSW Cell dated 09.08.2010:
Issue letter seeking compliance affidavit of EC conditions and also to submit effluent and emission reports as stipulated in the CTO issued earlier.
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 Municipal Waste Complex at Gazipur Bio-gas Plant Site
Name of the agency: M/s New Delhi Waste Processing Company Ltd.
Particulars of the project: 

Setting up of integrated Municipal Waste Complex at Gazipur Bio-gas Plant Site, Gazipur. 

The capacity of the project would be 1200TPD. The treatment/ processing of the MSW would be based on DST-TIFAC technology of mixed municipal waste to RDF Fluff preparation and bio-gas generation from the organic waste. The power generation would be 10-12 MW.

 Status of Consent: 

Applied for consent to establish under Air & Water Acts on 22-06-07 & Consent to establish has been issued on 03.07.07 which was valid upto 21.06.08 (C/306) and expired on 22.06.08.

Status of authorization under MSW Rules: 

Applied for authorization under MSW Rules on 30.03.07 and Authorization under MSW Rules was also issued on 03.07.07 for the period of two years (C/303).

Action regarding clearance from other departments: 

Letter issued on 10.05.07 to the operator of the facility to submit:

Detailed project report.

Site clearance certificate from the land owning agency.

EIA clearance from Ministry of Environment & Forests, Government of India.

View of Air Force Base Station, Town and Country Planning, Department of UD, Govt. of India etc.

Status:
· Detailed project report is not received.

· Site clearance certificate from the land owning agency is not received.

· EIA clearance from Ministry of Environment & Forests, Government of India is not received.

· View of Air Force Base Station, Town and Country Planning, Department of UD, Govt. of India etc are not received.
Decision of Consent Management Committee (MSW) its meeting dated 05.12.2008:

Issue direction to complete the project by December, 2009.

Action taken/ Status after the meeting held on 05.12.08:
· The unit has submitted two letters dated 15.12.08. Accordingly, the project has since been bid out and the consortium led by Delhi International Airport Ltd. (DIAL) with M/s Selco International Ltd. has been selected as implementing agency. Now, DIAL will soon start implementation of the project, which will take another 18-20 months time for making the project operational. Unit has requested to extend the validity of CTE for another three years. Unit has also requested to waive off the requirement of separate comments from DC (East) and amend the authorization in the name of “East Delhi Waste Processing Company Pvt. Ltd.” 
· Direction issued on 29.12.08. As per reply dated 19.01.09, M/s East Delhi Waste Processing Co. Pvt. Ltd. (EDWPCL) is a company specially incorporated to develop the project, has been transferred to the DIAL-Selco Consortium. Now, EDWPCL will implement the project, which as per planning, is expected to be operational by August, 2010.
Decision of Consent Management Committee (MSW) its meeting dated 23.01.2009:

Put up in next CMC (MSW) meeting.                                                                                             
Action taken/ Status after the meeting held on 23.01.09:
Letter dated 09.03.09 received from EDWPCL for a request to extend the validity of CTE by another 3 years period as it was valid upto 21.06.08. As desired this  was put up in the 106th CMC (Orange) Meeting held on 20.03.09 and it was decided that “the extension of time is allowed, with the condition that they start the work soon and apply for Consent to Operate as soon as the unit is ready.  Accordingly, a letter was issued to the unit on 16.04.09.   
Decision of Consent Management Committee (MSW) its meeting dated 12.05.2009:

No action.
Action taken/ Status after the meeting held on 12.05.09:

A D.O. letter was issued on 16.06.09 to Sh. Rakesh Mehta, Chief Secretary, Govt. of NCT of Delhi from Sh. Deepak Gupta, Secretary, Ministry of New and Renewable energy, Govt. of India, regarding delay in the project for power generation from Municipal Solid Waste at Ghazipur.

A meeting was held on 24.07.09 in the conference room of Chief Secretary, Govt. of NCT of Delhi. 
Decision of Consent Management Committee (Orange) wrt cases of MSW Cell dated 19.01.2010:
No Action.

Action taken/ Status after the meeting held on 19.01.2010:
1. Representation from the unit was received on 17.02.2010 and 16.04.2010 regarding extension of validity of Authorization under MSW Rules 2000, for next two years i.e. 2nd July 2011.
Decision of Consent Management Committee (Orange) wrt cases of MSW Cell dated 20.04.2010:
Inform the unit that an extension of authorization under MSW Rules, 2000 is not required till the facility starts operating.

Action taken/ Status after the meeting held on 20.04.2010:
A letter was issued by DPCC on 26.07.2010 to M/s East Delhi Waste Processing Co. Pvt. Ltd (NDWPCL) stating that an extension of authorization under MSW Rules, 2000 is not required till the facility starts operating.
Decision of Consent Management Committee (Orange) wrt cases of MSW Cell dated 09.08.2010:
No action
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Development of Engineered Landfill site at Jaitpur/Tajpur

Name of the agency: Municipal Corporation of Delhi.
Particulars of the project: 

Development of Engineered Landfill site at Jaitpur/Tajpur

Agency applied by MCD is Birla Technical Services.

The capacity of waste to be disposed off 1000-1500 TPD.  

Construction, operation and maintenance of this ESL are to be carried out in 32.464 acre of abandoned stone quarry.  

The present status of the site is as under as per brief note received from Sh. Arun Kumar (Spl. Proj.), MCD:- 

Survey of the quarry carried out.

All Geotechnical investigation including monitoring wells testing of rock/water sample completed.

Preliminary final designed checked and approved through IIT Delhi.

Final designed under submission by BTS.

De-watering completed in major portion/in progress in remaining isolated small pits.

Sumps/Pump houses established for stoppage of incoming water to the quarry.

Part fencing works completed.

Ramp under construction.

Sludge removed from dewatered area.

Site grading works in progress.

Status of authorization under MSW Rules: 

Applied for authorization under MSW Rules on 07.01.04 and Authorization under MSW Rules was also issued on 23.06.04 and valid till construction & operation of the project.

Status:
The site was inspected by DPPC official on 27.06.08 along with official from MCD and Birla Technical Services and it was observed that progress with regard to development of landfill site is very slow.  As per brief note received from MCD some public hindrance also was encountered in the month of April, 2008.  However, it is expected that by the end of this financial year, operation in one cell will be started in parallel to remaining construction activity.    

Decision of Consent Management Committee (Orange) wrt cases of MSW Cell dated 19.01.2010:
Inspect and issue reminder if needed.

Action taken/ Status after the meeting held on 19.01.2010:
1. The unit was inspected by the officials of DPCC on 09.04.2010 and the observations are as under:

(i) No work was in progress during the inspection and it was observed that the work was stopped since long.

(ii) Algae bloom was found at the site due to the water collection at the site.

(iii) The fencing was found in some of the place\ partially fenced. 
Decision of Consent Management Committee (Orange) wrt cases of MSW Cell dated 20.04.2010:
MS, DPCC to take a meeting with DEMS, MCD.

Action taken/ Status after the meeting held on 20.4.2010:
· MS, DPCC took a meeting on 04.06.2010 as decided by CMC.

· Mr. J.P Bansal EE,  attended the meeting from MCD and informed that work has been stopped w.e.f September, 2008. Case is under consideration with arbitration. 
Decision of Consent Management Committee (Orange) wrt cases of MSW Cell dated 09.08.2010:
No action at present.
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Timarpur Okhla Waste Management Company Limited

Name of the agency: New Delhi Municipal Council. (M/s Timarpur-Okhla Waste Management Company Private Ltd).  
Particulars of the project: 

Setting up of integrated municipal waste complex at NDMC Plant Site.  Sukhdev Vihar, Okhla.  The capacity of the project would be 950 TPD beside 150 TPD green garbage.  The treatment / processing of the MSW would be based on DST-TIFAC technology of mixed MW to RDF/ Fluff preparation and bio gas generation from                         the organic waste.  The power generation would be 10MW. Cost of project is                                 Rs. 1742.62 million.  

Status of Consent: 

· Consent to establish under Air and Water Act has been issued on 03.07.07 and valid upto 09.05.08.

· Requested for extension of consent to establish for two year along with consent fee of Rs. 5200/- vide letter dated 01.07.08 after expiry of the consent.  No formal application submitted for extension of consent to establish under Air and Water Act.  

· The unit has submitted another letter on 17.07.08 with a request that the application was submitted earlier for extension of the consent to establish after the lapse of due date (i.e. expiry of consent to establish on 09.05.08), it is understood that a fine of Rs.2600/- is payable.  They have requested that this additional amount may be adjusted from DD No. 357265 dated 30.06.08 for Rs.5200/- for Timarpur project vide letter dated 01.07.08 wherein only Rs.2600/- is payable to DPCC.
· Copy of Share Transfer Agreement between IL&FS Infrastructure Development Corporation Limited, Jindal Urban Infrastructure Ltd & Timapur Okhla Waste Management Company Pvt. Ltd.  is also enclosed with letter dated 17.07.08.
Status of authorization under MSW Rules: 

Authorization under MSW Rules was issued on 09.03.07 and valid upto 08.03.09.

 Decision of Consent Management Committee (Orange) wrt cases of MSW Cell dated 19.01.2010:
Issue a letter to the unit to apply for CTO 1 month before commissioning of the plant, without waiting for minutes.
Action taken/ Status after the meeting held on 19.01.2010:
1. A letter asking the unit to apply for CTO 1 month before commissioning of the plant issued on 21.01.2010.
Decision of Consent Management Committee (Orange) wrt cases of MSW Cell dated 20.04.2010:
· No Action.

· Case related to Municipal Solid Waste Complex of Timarpur also has been clubbed by CMC in its meeting held on 20.04.2010

· This project of Okhla Timarpur waste facility has been inaugurated by Hon’ble CM on 28.06.2010.

Decision of Consent Management Committee (Orange) wrt cases of MSW Cell dated 09.08.2010:
No action
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IL&FS Compost Plant at Okhla

Name of the agency: Municipal Corporation of Delhi, O/o the Engineer in Chief, Town Hall, Delhi-6

Particulars of the project: 

Revival of the Compost Plant of Municipal Corporation of Delhi at Okhla, Delhi (The compost plant at Okhla is existing plant of MCD which stopped operation in 1994 and MCD now has handed over this plant to IL & FS for revival of up gradation).   

Status of Consent: 

Consent to establish has been issued on 29.01.08.
The unit has applied for consent to operate on 21.01.09, CTO issued on 20.01.2010, valid up to 20.01.2012. 

Status of authorization under MSW Rules: 

Applied for authorization for setting up and operation of waste processing facility on 20/11/07 (C/1 to 67), Authorization under MSW Rules issued on 04.02.2010, valid up to 03.02.2012.
Details of the project: 

Processing technology is composting through open
air aerobic window composting method.

Quantity of waste to be processed is 200 TPD.

Investment on the project is Rs.6.2 crores.

Quantity of waste to be disposed per day is 40 TPD.

Plot Area is 29000 sq m and Built up area- 4000 sq m 

Sanctioned Power Load – 280 KW

Revival period the compost plant will be start on 1 March, 2008.

Water consumption for domestic is 2000LPD &  for processing  is  20,000 LPD

Quantity of domestic waste generated is 1500 LPD and leach ate to be recycled in composition process

100 KVA DG Set proposed to be installed.

Concession Agreement between MCD and IL & FS is placed at (C/71 to 103).

Decision of Consent Management Committee (Orange) wrt cases of MSW Cell dated 19.01.2010:
Issue CTO and issue letter to AAI seeking their views giving final 15 days without waiting for minutes. Even if the reply/views are not received within 15 days, put up the file administratively for decision.
Action taken/ Status after the meeting held on 19.01.2010:
2. CTO issued on 20.01.2010, valid up to 20.01.2012.

3. NOC of AAI received from the unit on 22.01.2010.

4. Authorization under MSW Rules issued on 04.02.2010, valid up to 03.02.2012.

Decision of Consent Management Committee (Orange) wrt cases of MSW Cell dated 20.04.2010:
No Action.

Decision of Consent Management Committee (Orange) wrt cases of MSW Cell dated 09.08.2010:
No action
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Compost Plant at Tikri Khurd/ Khampur
Name of the agency: M/s Spiral Services, New Sabzi Mandi, Azad Pur, Delhi
Particulars of the project: 

Up-gradation of the A.P.M.C. Compost Plant at Tikri Khurd/ Khampur, G.T. Karnal Road, Delhi-40 (Existing plant inaugurated by Delhi C.M. on 17.01.02)
Status of Consent: 

· Consent to establish has been issued on 29.01.08. 

· Applied for consent to operate on 04.03.08, Consent to Operate issued on 20.01.2010, valid up to 03.03.2011.
Status of authorization under MSW Rules: 

Applied for authorization for setting up and operation of waste processing facility on 20/11/07 (C/1-27 and C/30-34), Authorization under MSW Rules 2000 issued on 25.01.2010, valid up to 24.01.2012.
Details of the project: 

Processing technology is composting through open air aerobic window composting method.

Quantity of waste to be processed is 200 TPD.

Investment on the project is Rs.1.6 crores.

Quantity of waste to be disposed per day is 30 TPD.

Plot Area is 24000 sq m.

Built up area- 1000 sq m

Sanctioned Power Load – 5 KV

Proposed to be commissioned from March, 2008 (earlier unit exist since 17.01.02).

Water consumption for domestic is 1440 LPD &  for processing  is  5000 LPD

Quantity of domestic waste generated is 1000 LPD & having 2 septic tanks and leach ate to be recycled in composition process.

No DG Set proposed to be installed.

Agreement between APMC and Spiral Services is placed at (C-/3 to 11).

Status:

· Applied for consent to operate under Orange category on 04.03.08. 

· Views/ Comments/ NOC were received only from Town and Country Planning Organization, Ministry of U.D. (C/44- 45) asked before issued of authorization under MSW, Rules. Views/ Comments/ NOC are still awaited from Air Force, DDA and Central Ground Water Board.
Decision of Consent Management Committee (Orange) wrt cases of MSW Cell dated 19.01.2010:
Issue consent to operate and Authorization under MSW Rules, without waiting for minutes. 

Action taken/ Status after the meeting held on 19.01.2010:
1. Consent to Operate issued on 20.01.2010, valid up to 03.03.2011.

2. Authorization under MSW Rules 2000 issued on 25.01.2010, valid up to 24.01.2012.
Decision of Consent Management Committee (Orange) wrt cases of MSW Cell dated 20.04.2010:
No Action.

Decision of Consent Management Committee (Orange) wrt cases of MSW Cell dated 09.08.2010:

Inspect and report.
Chairman
M. S.
      Member        Prof. S.K Gupta
SEE
     EE
      AEE 

DPCC
DPCC    Env. Deptt.    Member (Acd. Inst)   
(MSW) MSWM Cell

Compost Plant of Municipal Corporation of Delhi at By Pass, Bhalswa, Delhi
Name of the agency: Nature Waste Management India Pvt. Ltd. MCD Compost Plant, G. T. Karnal Road, By Pass, Bhalswa, Delhi-110042

Status of Consent: 

Applied for Consent to establish under Green category on 26.09.08 & Consent to Establish under Orange Category on 05.12.08, CTE issued on 20.01.2010, valid up to 19.01.2011. 
Applied for Consent to Operate under Orange Category on 27.10.09, CTO issued on 20.01.2010, valid up to 26.10.2012.

Status of authorization under MSW Rules: 

Applied for authorization under MSW Rules on 27.03.09, Authorization issued on 21.01.2010, valid up to 20.01.2012.
Particulars of the project: 

Compost Plant of Municipal Corporation of Delhi at G. T. Karnal Road, By Pass, Bhalswa, Delhi-110042

Details of the project: 

a. Processing technology is composting through open air aerobic by Excel Technology.

b. Quantity of waste to be processed is 600 TPD.

c. Investment on the project is Rs.10 Crores.

d. Plot Area is 48552 sq m and Built up area- 16000 sq m 

e. Sanctioned Power Load – 125 KVA (K.No. 451099026136)

f. Water consumption for domestic is 500 LPD &  for processing  is 1,000 LPD (In summer months 3,000 LPD).

g. Quantity of domestic waste generated is Nil.

h. No trade effluent generated.  Only effluent from the rain water-re circulated to the waste heap.  

i. 82.5 KVA DG Set installed which is without acoustic enclosure and proper stack height. 

j. Agreement for sub-contractor is placed at (C/1-25).

Decision of Consent Management Committee (MSW) its meeting dated 12.05.2009:
Noise monitoring report to be submitted and apply for CTO.
Action taken/ Status after the meeting held on 12.05.09:
· A letter issued to the unit on 22.05.09 for Noise Monitoring Report and Consent to Operate.

· Applied for Consent to Operate under Orange Category alongwith Noise Monitoring Report on 27.10.09. 

Decision of Consent Management Committee (Orange) wrt cases of MSW Cell dated 19.01.2010:
Issue consent to establish, consent to operate and authorization under MSW Rules, 2000, without waiting for minutes.
Action taken/ Status after the meeting held on 19.01.2010:
1. Consent to Establish under Air and Water Acts issued on 20.01.2010, valid up to 19.01.2011.

2. Consent to Operate under Air and Water Acts issued on 20.01.2010, valid up to 26.10.2012.

3. Authorization under MSW Rules 2000 issued on 21.01.2010, valid up to 20.01.2012.
Decision of Consent Management Committee (Orange) wrt cases of MSW Cell dated 20.04.2010:
No Action.

Decision of Consent Management Committee (Orange) wrt cases of MSW Cell dated 09.08.2010:
Expedite Inspect and report.

Chairman
M. S.
      Member        Prof. S.K Gupta
SEE
     EE
      AEE 

DPCC
DPCC    Env. Deptt.    Member (Acd. Inst)   
(MSW) MSWM Cell

Wholesale Flower market at IFC, Ghazipur, NH-24, New Delhi
Name of the agency: M/s Delhi Agriculture Marketing Board, 9, Institutional Area, Pankha Road, Janakpuri, New Delhi-110058.
Particulars of the project: Setting up Wholesale Flower market at IFC, Ghazipur, NH24, New Delhi.

Status of Consent: 

Applied for consent to establish under Air & Water Acts vided ID. No. 27420 dt. 19.09.08, Consent to Establish issued on 09.02.2010, valid up to 07.02.2011.
Details of the project: 

a. Proposed activities is setting up wholesale flower market and multilevel parking. 

b. Proposed Investment on the project is Rs.116.89 crores.

c. Total Plot Area is 150866.22 sq m
d. Built up area- 103049.84 sq m.
e. Sanctioned Power Load /power required– 4000 KW.
f. Proposed to be commissioned from December, 2008.

g. No of workers: 

a) During construction phase – 100 b) During operational phase-   25

h. Water consumption:

Domestic – 154.5 KLD, 
Industrial cooling - 52 KLD, 
processing   - 50 KLD,
Other (Gardening) – 108 KLD

i. Quantity of domestic waste generated is 136 KLD and Industrial is Nil.
j. Proposed Sewage Treatment Plant of 150 KLD with primary and secondary treatment and treated domestic effluent will be partly utilized for green belt, DG. Set and AC Cooling and rest will be discharge into sewerage system.

k. Sludge Generating from STP will be used as manure for gardening purpose/ Sold as per standard practices.

l. DG Sets proposed to be installed – 3 X 1250 KVA + 1 X 1650 KVA with acoustic enclosure.

m. Perpetual lease by DDA for this land is enclosed.  
n. As per application unit will be taken authorization under Hazardous Waste Rules for storage of hazardous waste (used oil from DG Set) during operational phase. 
Remarks:

As per the provisions of EIA notification dated 14.09.06 the following construction projects are to be required Environmental Clearance from MoEF:

Building and Construction Projects having built up area ≥ 20000 sqm and < 150000 sqm of built up area. 

Townships and Area Development Projects having covering an area ≥ 50 ha and or built up area ≥150000 sqm.   

Decision of Consent Management Committee (MSW) its meeting dated 05.12.2008:

Member Secretary, DPCC to write to VC, DAMB to seek immediate EIA clearance enclosing a copy of the EIA notification.  Meanwhile, an inspection may also be carried out based on the Consent to Establish.

Action taken/ Status after the meeting held on 05.12.08:

Letter issued on 29.12.08. As per letter dated 11.12.08 of the unit, they have applied for Environmental Clearance about two months back. They requested for EC as well as CTE at the earliest to enable to start the project & complete before Commonwealth Games.

The site of the unit was inspected on 07.01.09. Following are the observations:

a. No excavation/ construction activity has been started for this project.

b. As informed they are applying again for CTE and EC with revised proposal for flower, fruit and vegetable market.

c. w.r.t. fruit and vegetable market, construction of 8 blocks out of 12 blocks is almost completed.







  
Decision of Consent Management Committee (MSW) its meeting dated 23.01.2009:

Ask to apply for CTE for the revised project for Flowers, Fruit and Vegetable market.

Action taken/ Status after the meeting held on 23.01.09:
Letter issued to the unit on 19.02.09 and reminder on 05.05.09. Reply is still awaited. 

Decision of Consent Management Committee (MSW) its meeting dated 12.05.2009:

Member Secretary, DPCC to write Vice Chairman, Delhi Agriculture Marketing Board.

Action taken/ Status after the meeting held on 12.05.09:
Letter issued to the unit on 08.06.09 for fresh Consent to Establish for the revised project.

Revised application without enclosure for Consent to Establish alongwith Project Report and Affidavit received on 07.06.09. 
Decision of Consent Management Committee (Orange) wrt cases of MSW Cell dated 19.01.2010:
Issue Consent to establish.

Action taken/ Status after the meeting held on 19.01.2010:
1. Consent to Establish issued on 09.02.2010, valid up to 07.02.2011.
Decision of Consent Management Committee (Orange) wrt cases of MSW Cell dated 20.04.2010:
No Action.

Decision of Consent Management Committee (Orange) wrt cases of MSW Cell dated 09.08.2010:
Seek compliance affidavit on the conditions laid down in EC.

Chairman
M. S.
      Member        Prof. S.K Gupta
SEE
     EE
      AEE 

DPCC
DPCC    Env. Deptt.    Member (Acd. Inst)   
(MSW) MSWM Cell


Sanjay Motor Lorry,  E-13-B/120, J-Block , New Seelam Pur, Delhi

Name of the agency: Sanjay Motor Lorry, E-13-B/120,J-Block,New Seelam Pur, Delhi

Particulars of the project: Motor Lorry.
Status of authorization: Applied for Authorization for- A) Setting up & operation of waste processing and disposal facility and B) Setting up & operation of disposal facility.

Details of the Project:- 

Processing of Waste 

i.  Location of site 




D.L. F. Place, Vasant Kunj New Delhi.

ii.  Name of waste processing technology  
Handling only

iii.  Details of processing technology 

Not submitted 

iv. Quantity of waste to be processed 

per day 





One small Lorry

v.  Site clearance (from local authority)
E.E.S.L.F. office 

vi.  Details of agreement between municipal 

      authority and operating agency 

Applied for dumping 

vii.  Utilization programme for waste 

       processed (Product utilization)

Not submitted

viii.  Methodology for disposal of waste 

       processing rejects (quantity & quality) 
Handling & Dumping

ix.  Measures to be taken for prevention and 

      control of environment pollution 

Covered Lorry

x.  Investment on Project and expected 

     returns 





No. DL.I.R.O. 7332

xi.  Measures to be taken for safety of 

     workers working in the plant 

Not submitted 

Disposal of Waste

i.
Number of sites identified


Gazipur Dumping place

ii.
Layout maps of site 



Nil

iii.
Quantity of waste to be disposed per day
100 K.G. Per day 

iv.
Nature and composition of waste 
  
Polythine Bag & Plastic Battle & paper  

v.
Details of methodology or criteria 

followed for site selection 


Near to site 

vi.
Details of existing site under operation 
D.L.F. Palace Vasant Kunj N.D.

vii.
Methodology and operation details of 

landfilling





Fram Lorry 

viii.
Measures taken to check environmental

pollution 





Covered Lorry  

Remarks:
Detailed project report is not submitted by the applicant.

Decision of Consent Management Committee (MSW) its meeting dated 12.05.2009:

Ask the unit to file detailed project report.
Action taken/ Status after the meeting held on 12.05.09:
Letter issued to the unit on 22.05.09 to file detailed project report. 

Reply Awaited.

Decision of Consent Management Committee (Orange) wrt cases of MSW Cell dated 19.01.2010:
Issue reminder seeking CTE application and authorization along with required documents.
Action taken/ Status after the meeting held on 19.01.2010:
1. Reminder letter issued on 12.02.2010.

2. Reply not received.

Decision of Consent Management Committee (Orange) wrt cases of MSW Cell dated 20.04.2010:
Expedite the inspection and report.

Decision of Consent Management Committee (Orange) wrt cases of MSW Cell dated 09.08.2010:
Put up administratively.

Chairman
M. S.
      Member        Prof. S.K Gupta
SEE
     EE
      AEE 

DPCC
DPCC    Env. Deptt.    Member  (Acd. Inst)   (MSW) MSWM Cell


Bio-Tag, #281, MIG, Pocket- B, Sector-14, Dwarka, New Delhi-110078
Name of the agency: Bio-Tag, #281, MIG, Pocket- B, Sector-14, Dwarka, New Delhi- 110078
Particulars of the project: Composting.
Status of authorization: Applied for Authorization for- A) Setting up & operation of waste processing and disposal facility and B) Setting up & operation of disposal facility, on 08.03.2010.

Details of the Project:- 

Processing of Waste 

i.  Location of site 




Kakrola, New Delhi.

ii.  Name of waste processing technology  
Composting

iii.  Details of processing technology 

Submitted 

iv. Quantity of waste to be processed 

per day 





20 TPD

v.  Site clearance (from local authority)
N.A. 

vi.  Details of agreement between municipal 

      authority and operating agency 

N.A. 

vii.  Utilization programme for waste 

       processed (Product utilization)
the Compost generated will be at the plant sold at the market.

viii.  Methodology for disposal of waste 

       processing rejects (quantity & quality) Sent to Bhalsawa SLF.

ix.  Measures to be taken for prevention and 

      control of environment pollution 
The equipments as per CPCB, DPCC and MSW Rules will be installed as per requirement.

x.  Investment on Project and expected 

     returns 





2-3 lakhs

xi.  Measures to be taken for safety of 

     workers working in the plant 
Gloves, masks, safety shoes, helmets, safety against fire Hazards, electrical safety equipment.

Disposal of Waste

i.
Number of sites identified


Bhalsawa SLF

ii.
Layout maps of site 



Nil

iii.
Quantity of waste to be disposed per day
15-20 TPD 

iv.
Nature and composition of waste 
  
All inert materials

v.
Details of methodology or criteria 

followed for site selection 


N.A. 

vi.
Details of existing site under operation 
N.A.

vii.
Methodology and operation details of 

landfilling





N.A. 

viii.
Measures taken to check environmental

pollution 





N.A.  

Remarks:
Detailed project report is submitted by the applicant.

Decision of Consent Management Committee (Orange) wrt cases of MSW Cell dated 20.04.2010:
Issue a letter seeking application for Consent to Establish (CTE). 

Action taken/ Status after the meeting held on 20.04.2010:
· Application for Consent to Establish (CTE) under Water (prevention and control of pollution )Act, 1947 and under Air (Prevention and Control of Pollution)Act,1981 was received on 03.05.2010 from BIO-TAG.

· Application was found deficient in details of waste collection, transportation and disposal site.
Decision of Consent Management Committee (Orange) wrt cases of MSW Cell dated 09.08.2010:
Issue letter asking the applicant to provide missing details and submit the copies of agreements with MCD/DEMS for collection and disposal of MSW.

Chairman
M. S.
      Member        Prof. S.K Gupta
SEE
     EE
      AEE 

DPCC
DPCC    Env. Deptt.    Member (Acd. Inst)   
(MSW) MSWM Cell

Sanitary Landfill Site (Municipal Corporation of Delhi), Bhalaswa, New Delhi
Name of the agency: CSE Department, Municipal Corporation of Delhi.
Particulars of the project: Sanitary Landfill Site.
Status of authorization: Applied for Authorization for- B) Setting up & operation of disposal facility.

Details of the Project:- 

Processing of Waste 




N.A.

i.  Location of site 




 
ii.  Name of waste processing technology  


iii.  Details of processing technology 

 

iv. Quantity of waste to be processed 

per day 







v.  Site clearance (from local authority)
 

vi.  Details of agreement between municipal 

      authority and operating agency 

 

vii.  Utilization programme for waste 

       processed (Product utilization)


viii.  Methodology for disposal of waste 

       processing rejects (quantity & quality) 

ix.  Measures to be taken for prevention and 

      control of environment pollution 


x.  Investment on Project and expected 

     returns 







xi.  Measures to be taken for safety of 

     workers working in the plant 


Disposal of Waste






Authorization for existing/                                                                                  active S.L.F. Site- Bhalaswa.

i.
Number of sites identified




ii.
Layout maps of site 





iii.
Quantity of waste to be disposed per day
 

iv.
Nature and composition of waste 
  


v.
Details of methodology or criteria 

followed for site selection 


 

vi.
Details of existing site under operation 


vii.
Methodology and operation details of 

landfilling





 

viii.
Measures taken to check environmental

pollution 





  

Remarks:
Detailed project report is submitted by the applicant.
Decision of Consent Management Committee (Orange) wrt cases of MSW Cell dated 20.04.2010:
· Put up administratively.

· Case was put up administratively and subsequently decided to place the case in CMC.
Decision of Consent Management Committee (Orange) wrt cases of MSW Cell dated 09.08.2010:
Put up administratively.
Chairman
M. S.
      Member        Prof. S.K Gupta
SEE
     EE
      AEE 

DPCC
DPCC    Env. Deptt.    Member (Acd. Inst)   
(MSW) MSWM Cell


Sanitary Landfill Site (Municipal Corporation of Delhi), Ghazipur, New Delhi
Name of the agency: CSE Department, Municipal Corporation of Delhi.
Particulars of the project: Sanitary Landfill Site.
Status of authorization: Applied for Authorization for- B) Setting up & operation of disposal facility.

Details of the Project:- 

Processing of Waste 




N.A.

i.  Location of site 





ii.  Name of waste processing technology  


iii.  Details of processing technology 

 

iv. Quantity of waste to be processed 

per day 







v.  Site clearance (from local authority)
 

vi.  Details of agreement between municipal 

      authority and operating agency 

 

vii.  Utilization programme for waste 

       processed (Product utilization)


viii.  Methodology for disposal of waste 

       processing rejects (quantity & quality) 

ix.  Measures to be taken for prevention and 

      control of environment pollution 


x.  Investment on Project and expected 

     returns 







xi.  Measures to be taken for safety of 

     workers working in the plant 


Disposal of Waste






Authorization for existing/                                                                                  active S.L.F. Site- Ghazipur.

i.
Number of sites identified




ii.
Layout maps of site 





iii.
Quantity of waste to be disposed per day
 

iv.
Nature and composition of waste 
  


v.
Details of methodology or criteria 

followed for site selection 


 

vi.
Details of existing site under operation 


vii.
Methodology and operation details of 

landfilling





 

viii.
Measures taken to check environmental

pollution 





  

Remarks:
Detailed project report is submitted by the applicant.

Decision of Consent Management Committee (Orange) wrt cases of MSW Cell dated 20.04.2010:
· Put up administratively.

· Case was put up administratively and subsequently decided to place the case in CMC.

Decision of Consent Management Committee (Orange) wrt cases of MSW Cell dated 09.08.2010:
Put up administratively.
Chairman
M. S.
      Member        Prof. S.K Gupta
SEE
     EE
      AEE 

DPCC
DPCC    Env. Deptt.    Member (Acd. Inst)   
(MSW) MSWM Cell


Sanitary Landfill Site (Municipal Corporation of Delhi), Okhla, Phase-I, New Delhi
Name of the agency: CSE Department, Municipal Corporation of Delhi.
Particulars of the project: Sanitary Landfill Site.
Status of authorization: Applied for Authorization for- B) Setting up & operation of disposal facility.

Details of the Project:- 

Processing of Waste 




N.A.

i.  Location of site 





ii.  Name of waste processing technology  


iii.  Details of processing technology 

 

iv. Quantity of waste to be processed 

per day 







v.  Site clearance (from local authority)
 

vi.  Details of agreement between municipal 

      authority and operating agency 

 

vii.  Utilization programme for waste 

       processed (Product utilization)


viii.  Methodology for disposal of waste 

       processing rejects (quantity & quality) 

ix.  Measures to be taken for prevention and 

      control of environment pollution 


x.  Investment on Project and expected 

     returns 







xi.  Measures to be taken for safety of 

     workers working in the plant 


Disposal of Waste






Authorization for existing/                                                                                  active S.L.F. Site- Okhla.

i.
Number of sites identified




ii.
Layout maps of site 





iii.
Quantity of waste to be disposed per day
 

iv.
Nature and composition of waste 
  


v.
Details of methodology or criteria 

followed for site selection 


 

vi.
Details of existing site under operation 


vii.
Methodology and operation details of 

landfilling





 

viii.
Measures taken to check environmental

pollution 





  

Remarks:
Detailed project report is submitted by the applicant.

Decision of Consent Management Committee (Orange) wrt cases of MSW Cell dated 20.04.2010:
· Put up administratively.

· Case was put up administratively and subsequently decided to place the case in CMC.
Decision of Consent Management Committee (Orange) wrt cases of MSW Cell dated 09.08.2010:
Put up administratively.
Chairman
M. S.
      Member        Prof. S.K Gupta
SEE
     EE
      AEE 

DPCC
DPCC    Env. Deptt.    Member (Acd. Inst)   
(MSW) MSWM Cell

Integrated Municipal Solid Waste Management Facility at Bawana- Narela

Name of the agency: Delhi MSW Solutions Ltd. (a Ramky Group Venture) 

Particulars of the project: Composting.
Status of Consent: Not applied for Consent under Air and Water Acts.

Status of authorization: Not Applied for Authorization under MSW Rules, 2000. 

Remarks:
Delhi MSW Solutions Ltd. (a Ramky Group Venture) has made a request for conducting public hearing for the proposed site for Integrated Municipal Solid Waste Management Facility at Bawana- Narela, Delhi. The public hearing has been scheduled on 14.05.2010.
The unit has not applied for Consent under Air and Water Acts and Authorization under MSW Rules 2000, till date.

Decision of Consent Management Committee (Orange) wrt cases of MSW Cell dated 20.04.2010:
No Action.

Decision of Consent Management Committee (Orange) wrt cases of MSW Cell dated 09.08.2010:
Seek application for CTE.

Chairman
M. S.
      Member        Prof. S.K Gupta
SEE
     EE
      AEE 

DPCC
DPCC    Env. Deptt.    Member (Acd. Inst)   
(MSW) MSWM Cell

Agenda No. 2
Dr. Sen Nursing home Nallah STP  (2.2 MGD)

Consent Status 

Consent to Operate valid up to 25-02-08. 
Consent to operate (Renewal) was issued on 08.02.10 valid upto 12.05.11


Decision of Consent Management Committee (MSW) in its meeting dated 12.05.2009:

D.O. letter from Chairman, DPCC to CEO, DJB for not meeting the norms & other deficiencies. 

Action Taken Report
As decided in CMC (MSWM) D.O letters dated 04.06.09 were issued.  After examining the monthly analysis report for the month of Nov 2009 it was found that parameters are meeting the prescribed standards.   

Subsequent to the meeting of EPCA, a letter was issued to the unit regarding smell problem in Lodi Garden, as the treated water is supplied from this plant. No reply received.

Not applied for authorization under HWM Rules.
Decision of Consent Management Committee (Orange) w.r.t. cases of MSW Cell dated 19.01.2010:

Issue renewal of consent and ask the unit to apply for authorization under HWM Rules.

Action Taken Report
A letter dated 12.02.10 was received form the unit which stated that no Hazardous Waste is generated by the unit hence the authorization under HWM Rules is not required by it.

Consent to operate (Renewal) was issued on 08.02.10, in which the consentee was also asked to submit an application for authorization under HWM Rules. 
After examining the monthly analysis report for the months of Dec, 2009 to Feb 2010 it was found that parameters are meeting the prescribed standards.   

Decision of Consent Management Committee (Orange) w.r.t. cases of MSW Cell dated 20.04.2010:

No Action.

Action taken/ Status after the meeting held on 20.04.2010:

6. After examining the monthly analysis report for the months of April, May and June 2010 it was found that, parameter is not meeting the prescribed standards w.r.t BOD (35mg/L) for the month of June.
Decision of Consent Management Committee (Orange) wrt cases of MSW Cell dated 09.08.2010:

Issue letter to CEO, DJB  enclosing monthly monitoring reports for taking necessary action to comply with the norms, wherever the quality is not meeting the norms. 
Chairman
M. S.
      Member    Prof. S.K Gupta      SEE  EE
 AEE     
DPCC      DPCC      Env. Deptt.   Member (Acd. Inst) (MSW) MSWM Cell

Delhi Gate Nallah STP, (10 MLD)

Consent Status 

Consent to operate issued on 15.2.2007 & valid upto 11.10.09. 

Applied for Renewal of Consent on 03.02.10.

Consent to operate (Renewal) issued on 07.05.10 valid upto 02.02.2013
Decision of Consent Management Committee (MSW) in its meeting dated 12.05.2009 :

No action
Action Taken Report
After examining the monthly analysis report for the month of Nov 2009 it was found that parameters are meeting the prescribed standards.  
Decision of Consent Management Committee (Orange) w.r.t. cases of MSW Cell dated 19.01.2010:

Ask the unit to apply for renewal of consent.

Action Taken Report
As the unit has already applied for renewal of consent on 03.02.10 thus we have not sent any letter for renewal of consent.

After examining the monthly analysis report for the months of Dec 2009 to Feb 2010 it was found that parameters are meeting the prescribed standards.  
Decision of Consent Management Committee (Orange) w.r.t. cases of MSW Cell dated 20.04.2010:

Issue CTO(R).

Action taken/ Status after the meeting held on 20.04.2010:

2. Consent to Operate (Renewal) under Air and Water Acts issued on 07.05.2010.

2. After examining the monthly analysis report for the months of April, May     and June 2010 it was found that parameters are meeting the prescribed     standards for the month June.  
Decision of Consent Management Committee (Orange) wrt cases of MSW Cell dated 09.08.2010:

 No Action.

Chairman
M. S.
      Member    Prof. S.K Gupta      SEE  EE
 AEE     
DPCC      DPCC      Env. Deptt.   Member (Acd. Inst) (MSW) MSWM Cell

KONDLI STP , Ph-I (10 MGD)

Consent Status 

Consent to Operate issued on 20.08.2008 and valid upto 18.04.2009. 

Renewal of Consent to Operate issued on 08.02.2010 and valid upto 16.08.2012. 

Decision of Consent Management Committee (MSW) in its meeting dated 12.05.2009:

D.O. letter from Chairman, DPCC to CEO, DJB for not meeting the norms & other deficiencies. 
Action Taken Report
As decided in CMC (MSWM) D.O letters dated 04.06.09 was issued.  After examining the monthly analysis report for the month of Nov 2009 it was found that parameters are meeting the prescribed standards.   
Unit has applied for CTO( R)  on 17.08.09.
Decision of Consent Management Committee (Orange) w.r.t. cases of MSW Cell dated 19.01.2010:

Issue renewal of consent.

Action Taken Report
Renewal of Consent was issued on 08.02.10.

After examining the monthly analysis report for the months of Dec 2009 to  Feb, 2010 it was found that parameters are meeting the prescribed standards in Feb 2010 ; However parameters are not meeting the prescribed standards w.r.t Phosphate in Jan 2010 . The plant was found non operational due to maintenance in the month of Dec 2009

Decision of Consent Management Committee (Orange) w.r.t. cases of MSW Cell dated 20.04.2010:

No Action.

Action taken/ Status after the meeting held on 20.04.2010:

2. After examining the monthly analysis report for the months of April 2010 to June 2010 it was found that  parameters are not meeting the prescribed standards w.r.t TSS (64 mg/L) for the month of June.
Decision of Consent Management Committee (Orange) wrt cases of MSW Cell dated 09.08.2010:

Issue letter to CEO, DJB  enclosing monthly monitoring reports for taking necessary action to comply with the norms, wherever the quality is not meeting the norms. 
Chairman
M. S.
      Member    Prof. S.K Gupta      SEE  EE
 AEE     
DPCC      DPCC      Env. Deptt.   Member (Acd. Inst) (MSW) MSWM Cell

KONDLI STP, Ph-II  (10 MGD)

Consent Status 

Consent to Operate issued on 20.08.2008 and valid upto 18.04.2009. 
Consent to Operate issued on 08.02.2010 and valid upto 16.08.2012. 
Decision of Consent Management Committee (MSW) in its meeting dated 12.05.2009:

D.O. letter from Chairman, DPCC to CEO, DJB for not meeting the norms & other deficiencies. 
Action Taken Report

As decided in CMC (MSWM) D.O letters dated 04.06.09 was issued. After examining the monthly analysis report for the month of Nov 2009 it was found that parameters are not meeting the prescribed standards.   
Unit has applied for CTO (R)  on 17.08.09.
Decision of Consent Management Committee (Orange) w.r.t. cases of MSW Cell dated 19.01.2010:

Issue renewal of consent.

Action Taken Report
Renewal of Consent to operate was issued on 08.02.10
After examining the monthly analysis report for the months of Dec 2009 to Feb 2010 it was found that parameters are not meeting the prescribed standards w.r.t Phosphate in Feb 2010 ; However the it was found that  parameters are  meeting the prescribed standards  for the months of Dec 2009 and Jan 2010.
Decision of Consent Management Committee (Orange) w.r.t. cases of MSW Cell dated 20.04.2010:
Issue letter for rectification of deficiencies observed after analysis of treated effluent.
Action taken/ Status after the meeting held on 20.04.2010:

3. Letter Issued for rectification of deficiencies observed after analysis of treated effluent on 24.05.10.

4. For the month of June 2010 After examining the monthly analysis report for the months of April 2010 to June 2010 it was found that parameters are meeting the prescribed standards for the month of June.
Decision of Consent Management Committee (Orange) wrt cases of MSW Cell dated 09.08.2010:

No Action.

Chairman
M. S.
      Member    Prof. S.K Gupta      SEE  EE
 AEE     
DPCC      DPCC      Env. Deptt.   Member (Acd. Inst) (MSW) MSWM Cell

KONDLI STP, Ph-III , (10 MGD)
Consent Status 

Consent to Operate issued on 22.09.05 and valid upto 02-12-07. Renewal of Consent issued on 20.08.2008 & valid upto 02.12.2010.
Decision of Consent Management Committee (MSW) in its meeting dated 12.05.2009 :

No action

Action Taken Report
After examining the monthly analysis report for the month of Nov 2009 it was found that parameters are meeting the prescribed standards.   

Decision of Consent Management Committee (Orange) w.r.t. cases of MSW Cell dated 19.01.2010:

No action, as the consent is valid.

Action Taken Report
After examining the monthly analysis report for the months of Dec 2009 to Feb 2010 it was found that parameters are not meeting the prescribed standards w.r.t phosphate in Feb 2010. However, it is found that parameters are meeting the prescribed standards in Jan 2010 and Dec 2009.

Decision of Consent Management Committee (Orange) w.r.t. cases of MSW Cell dated 20.04.2010:

Issue letter for rectification of deficiencies observed after analysis of treated effluent.
Action taken/ Status after the meeting held on 20.04.2010:

4. Letter Issued for rectification of deficiencies observed after analysis of treated effluent on 26.05.10.

5. In response to our letter DJB has not submitted any reply.

6. After examining the monthly analysis report for the months of April, May and June 2010 was found that parameters are within the prescribed standards for the month of June.
Decision of Consent Management Committee (Orange) wrt cases of MSW Cell dated 09.08.2010:

No Action.
Chairman
M. S.
      Member    Prof. S.K Gupta      SEE  EE
 AEE     
DPCC      DPCC      Env. Deptt.   Member (Acd. Inst) (MSW) MSWM Cell

Nehru Vihar, Oxidation Pond STP (13.5 MGD)
Consent Status 
Consent issued on21.09.05 and valid up to 28.11.07. 
Consent to operate (renewal) issued on 08.02.10 and valid up to 24.10.2010

Decision of Consent Management Committee (MSW) in its meeting dated 12.05.2009 :

No action

Action Taken Report
After examining the monthly analysis report for the month of Nov 2009 it was found that parameters are meeting the prescribed standards.   

Decision of Consent Management Committee (Orange) w.r.t. cases of MSW Cell dated 19.01.2010:

Issue renewal of consent.

Action Taken Report
3. Renewal of Consent to operate was issued on 08.02.10.

4. After examining the monthly analysis report for the months of Dec 2009 to Feb 2010 it was found that parameters are meeting the prescribed standards.   

Decision of Consent Management Committee (Orange) w.r.t. cases of MSW Cell dated 20.04.2010:
No Action.

Action taken/ Status after the meeting held on 20.04.2010:

2. After examining the monthly analysis report for the months of April May and June 2010.  it was found that parameters are meeting the prescribed standards for the month of June. 
Decision of Consent Management Committee (Orange) wrt cases of MSW Cell dated 09.08.2010:

No Action.
Chairman
M. S.
      Member    Prof. S.K Gupta      SEE  EE
 AEE     
DPCC      DPCC      Env. Deptt.   Member (Acd. Inst) (MSW) MSWM Cell

Keshopur STP (60 MGD (40+20)

Consent Status 

Consent to Operate issued on 21.09.05 and valid upto 24-09-07 for 60 MGD. 

Renewal of Consent to operate issued on 08.02.10 and valid upto 06.01.11. 

Decision of Consent Management Committee (MSW) in its meeting dated 12.05.2009:

D.O. letter from Chairman, DPCC to CEO, DJB for not meeting the norms & other deficiencies. 

Action Taken Report

As decided in the CMC (MSWM) D.O letters dated 04.06.09 was issued.  After examining the monthly analysis report for the month of Nov 2009 it was found that parameters are not meeting the prescribed standards, w.r.t TSS, BOD and Phosphate.   

Decision of Consent Management Committee (Orange) w.r.t cases of MSW Cell dated 19.01.2010:

Issue renewal of consent.

Also, issue letter to DJB to rectify the deficiencies to comply with the norms laid down.

Action Taken Report

Renewal of Consent was issued on 08.02.10 

A letter dated 15.02.10 was issued to DJB to rectify the deficiencies to comply with the norms laid down but no reply has been received so far.

After examining the monthly analysis report for the months of Dec 2009 to Feb 2010 it was found that both plants were under maintenance and were found non- operational for the month of Jan 2010 to Feb 2010. 

However for the month of Dec 2009 it was found that parameters are not meeting the prescribed standards w.r.t TSS, BOD and Phosphate.  
Decision of Consent Management Committee (Orange) w.r.t cases of MSW Cell dated 20.04.2010:

Issue letter for rectification of deficiencies observed after analysis of treated effluent.
Action taken/ Status after the meeting held on 20.04.2010:

4. Letter Issued for rectification of deficiencies observed after analysis of treated effluent on 26.05.10

5. In response to our letter DJB has not submitted any reply.

6. After Examining the monthly analysis report for the months of April May and June 2010 it was found that the plant was found non operational due to plant rehabilitation for the month of June.
Decision of Consent Management Committee (Orange) wrt cases of MSW Cell dated 09.08.2010:

 No Action.

Chairman
M. S.
      Member    Prof. S.K Gupta      SEE  EE
 AEE     
DPCC      DPCC      Env. Deptt.   Member (Acd. Inst) (MSW) MSWM Cell

Mehrauli  STP (5 MGD)

Consent Status 

Consent issued on 20.03.2007 & valid upto 15.12.09. 

Not Applied for Renewal of Consent.
Decision of Consent Management Committee (MSW) in its meeting dated 12.05.2009 :

No action

Action Taken Report
After examining the monthly analysis report for the month of Nov 2009 it was found that parameters are meeting the prescribed standards.  
Decision of Consent Management Committee (Orange) w.r.t. cases of MSW Cell dated 19.01.2010:

Issue letter seeking application for renewal of consent.

Action Taken Report
A letter dated 12.02.10 has been issued, seeking application for renewal of consent; however no reply has been received so far.

After examining the monthly analysis report for the month of Dec 2009 it was found that parameters are not meeting the prescribed standards w.r.t TSS.
However the monthly analysis report for the months of Jan 2010 to Feb 2010 shows that parameters are meeting the prescribed standards. 

Decision of Consent Management Committee (Orange) w.r.t. cases of MSW Cell dated 20.04.2010:
Issue letter to the unit seeking application for CTO(R), with a copy to CEO, DJB.
Action taken/ Status after the meeting held on 20.04.2010:

4. Letter Issued to the unit seeking application for CTO(R), with a copy to CEO, DJB on 20.05.10

5. After examining the monthly analysis report for the month of April, May and June 2010 was found that, the parameters are meeting the prescribed standards for the month of June. 
6. Not applied for consent to operate.
Decision of Consent Management Committee (Orange) wrt cases of MSW Cell dated 09.08.2010:
Issue reminder seeking application for renewal of consent to operate. 

Chairman
M. S.
      Member    Prof. S.K Gupta      SEE  EE
 AEE     
DPCC      DPCC      Env. Deptt.   Member (Acd. Inst) (MSW) MSWM Cell

                                Yamuna Vihar Phase –I STP (10 MGD)

Consent Status 

Consent to Operate issued on 28.2.2007 and valid upto 16.11.07. 

Renewal of Consent issued on 20.08.2008 valid upto 16.11.2010.
Decision of Consent Management Committee (MSW) in its meeting dated 12.05.2009 :

No action

Action Taken Report
After examining the monthly analysis report for the month of Nov 2009 it was found that parameters are meeting the prescribed standards.   
Decision of Consent Management Committee (Orange) w.r.t cases of MSW Cell dated 19.01.2010:

No action, as the consent is valid.

Action Taken Report
After examining the monthly analysis report for the months Dec 2009 of Feb 2010 it was found that parameters are meeting the prescribed standards for all the three months.  

Decision of Consent Management Committee (Orange) w.r.t cases of MSW Cell dated 20.04.2010:

No Action.

Action taken/ Status after the meeting held on 20.04.2010:

2. After examining the monthly analysis report for the months of April 2010 to June 2010, it was found that parameters are meeting the prescribed standards for the month of June.  

Decision of Consent Management Committee (Orange) wrt cases of MSW Cell dated 09.08.2010:

No Action.
Chairman
M. S.
      Member    Prof. S.K Gupta      SEE  EE
 AEE     
DPCC      DPCC      Env. Deptt.   Member (Acd. Inst) (MSW) MSWM Cell

Yamuna Vihar Phase –II STP  (10 MGD)

Consent Status 

Consent to operate issued on 28.2.2007 valid upto 28.12.09. 

Renewal of consent issued on 08.02.10 valid up to 13.12.2012
Decision of Consent Management Committee (MSW) in its meeting dated 12.05.2009:

D.O. letter from Chairman, DPCC to CEO, DJB for not meeting the norms & other deficiencies. 

Action Taken Report

As decided in CMC (MSWM) D.O letters dated 04.06.09 was issued. After examining the monthly analysis report for the month of Nov 2009 it was found that parameters are meeting the prescribed standards.   
Applied for Renewal of Consent on 14.12.09.
Decision of Consent Management Committee (Orange) w.r.t. cases of MSW Cell dated 19.01.2010:

Issue renewal of consent.

Action Taken Report

As decided in CMC (MSW) renewal of consent has issued on 08.02.10. 

After examining the monthly analysis report for the months Dec 2009 to Feb 2010 it was found that parameters are meeting the prescribed standards in the months of Jan to Feb 2010. However parameters are not meeting the prescribed standards w.r.t Phosphate in Plant 2 in Dec 2009  
Decision of Consent Management Committee (Orange) w.r.t. cases of MSW Cell dated 20.04.10

No Action.
Action taken/ Status after the meeting held on 20.04.2010:

2. After examining the monthly analysis report for the months April 2010 to June 2010 it was found that, parameters are meeting the prescribed standards for the month of June. 
Decision of Consent Management Committee (Orange) wrt cases of MSW Cell dated 09.08.2010:

No Action.
Chairman
M. S.
      Member    Prof. S.K Gupta      SEE  EE
 AEE     
DPCC      DPCC      Env. Deptt.   Member (Acd. Inst) (MSW) MSWM Cell

Rithala STP– Ph-I, (40 MGD)
Consent Status 

Consent to Operate valid upto 04.05.06. 
Applied for Renewal of Consent on 29.06.2006 and again on 01.07.09.

Renewal of Consent to Operate was issued on 08.02.10 valid upto 30.06.12. 

Decision of Consent Management Committee (MSW) in its meeting dated 12.05.2009 :

No action

Action Taken Report

After examining the monthly analysis report for the month of Nov 2009 it was found that parameters are meeting the prescribed standards.  
Applied for Renewal of Consent on 29.06.2006 and again on 01.07.09.
Decision of Consent Management Committee (Orange) w.r.t. cases of MSW Cell dated 19.01.2010:

Issue renewal of consent.

Action Taken Report

Renewal of Consent to Operate has been issued on 08.02.10.

After examining the monthly analysis report for the months of Dec 2009   to Feb 2010 it was found that parameters are not meeting the prescribed standards w.r.t. TSS in Feb 2010. However, it was found that parameters are meeting the prescribed standards for the months of Jan 2010 and Dec 2009.
Decision of Consent Management Committee (Orange) w.r.t. cases of MSW Cell dated 20.04.2010:
Issue letter for rectification of deficiencies observed after analysis of treated effluent.
Action taken/ Status after the meeting held on 20.04.2010:

4. Letter Issued for rectification of deficiencies observed after analysis of treated effluent on 24.05.10.

5. In response to our letter DJB has not submitted any reply.

6. After examining the monthly analysis report for the months of April, May and June 2010 it was found that, parameters are meeting the prescribed standards for the month of June.
 Decision of Consent Management Committee (Orange) wrt cases of MSW Cell dated 09.08.2010:

No Action.
Chairman
M. S.
      Member    Prof. S.K Gupta      SEE  EE
 AEE     
DPCC      DPCC      Env. Deptt.   Member (Acd. Inst) (MSW) MSWM Cell

Rithala  STP– Ph-II, ( 40 MGD)

Consent Status 

Previous Consent valid upto 21.01.06. Applied for renewal of consent on 20.01.2006. 
Not  applied for renewal of consent.

Decision of Consent Management Committee (MSW) in its meeting dated 12.05.2009 :

No action

Action Taken Report
After examining the monthly analysis report for the month of Nov 2009 it was found that parameters are meeting the prescribed standards.   

Decision of Consent Management Committee (Orange) w.r.t. cases of MSW Cell dated 19.01.2010:

Issue letter seeking application for renewal of consent.

Action Taken Report
A letter dated 12.02.10 has been issued seeking application for renewal of consent. However, no reply has been received so far.

After examining the monthly analysis report for the months of Dec 2009 to Feb 2010 it was found that parameters are not meeting the prescribed standards w.r.t. Phosphate in Feb 2010 and Dec 2009 ; However  it was found that parameters are  meeting the prescribed standards  in Jan 2010.
Decision of Consent Management Committee (Orange) w.r.t. cases of MSW Cell dated 20.04.2010:

Issue letter for rectification of deficiencies observed after analysis of treated effluent and also seek application for CTO(R).
Action taken/ Status after the meeting held on 20.04.2010:

5. Letter Issued for rectification of deficiencies observed after analysis of treated effluent and also seeking application for Consent to Operate (Renewal) under Air and Water Acts on 24.05.10.

6. In response to our letter DJB has not submitted any reply.

7. After examining the monthly analysis report for the months of April 2010 to June 2010 it was found that, parameters are meeting the prescribed standards for the month of June.
8. Not applied for renewal of consent.
Decision of  Consent Management Committee (Orange) wrt cases of MSW Cell dated 09.08.2010:

Issue reminder seeking application for renewal of consent to operate.
Chairman
M. S.
      Member    Prof. S.K Gupta      SEE  EE
 AEE     
DPCC      DPCC      Env. Deptt.   Member (Acd. Inst) (MSW) MSWM Cell

Papankalan STP ( 20 MGD)
Consent Status 

Consent issued on 25.08.2008 valid upto 06.01.2011.
Decision of Consent Management Committee (MSW) in its meeting dated 12.05.2009:

D.O. letter from Chairman, DPCC to CEO, DJB for not meeting the norms & other deficiencies. 

Action Taken Report
As decided in CMC (MSWM) D.O letters dated 04.06.09 was issued. After examining the monthly analysis report for the month of Nov 2009 it was found that parameters are meeting the prescribed standards.   

Decision of Consent Management Committee (Orange) w.r.t. cases of MSW Cell dated 19.01.2010:

No action, as consent is valid.

Action Taken Report
After examining the monthly analysis report for the months of Dec 2009 to Feb, 2010 it was found that parameters are meeting the prescribed standards.   

Decision of Consent Management Committee (Orange) w.r.t. cases of MSW Cell dated 20.04.2010:

No Action.

Action taken/ Status after the meeting held on 20.04.2010:

2. After examining the monthly analysis report for the months of April, May and June, 2010 it was found that, parameters are meeting the prescribed standards for the month of June. 
Decision of Consent Management Committee (Orange) wrt cases of MSW Cell dated 09.08.2010:

No Action.
Chairman
M. S.
      Member    Prof. S.K Gupta      SEE  EE
 AEE     
DPCC      DPCC      Env. Deptt.   Member (Acd. Inst) (MSW) MSWM Cell

Najafgarh STP, ( 5 MGD)
Consent Status 

Consent issued on 25.08.2008 valid upto 06.01.2011
Decision of Consent Management Committee (MSW) in its meeting dated 12.05.2009 :

D.O. Letter from Chairman, DPCC to CEO, DJB for not meeting the norms & other deficiencies. 

Action Taken Report

As decided in CMC (MSWM) D.O letters dated 04.06.09 was issued. After examining the monthly analysis report for the month of Nov 2009 it was found that parameters are meeting the prescribed standards.   

Decision of Consent Management Committee (Orange) w.r.t. cases of MSW Cell dated 19.01.2010:

No action as consent is valid.

Action Taken Report

After examining the monthly analysis report for the months of Dec 2009 to Feb, 2010 it was found that parameters are meeting the prescribed standards.   

Decision of Consent Management Committee (Orange) w.r.t. cases of MSW Cell dated 20.04.2010:

No Action.

Action taken/ Status after the meeting held on 20.04.2010:

2. After examining the monthly analysis report for the months of April, May and June 2010 it was found that parameters are meeting the prescribed standards for the month of June. 
Decision of Consent Management Committee (Orange) wrt cases of MSW Cell dated 09.08.2010:

No Action.
Chairman
M. S.
      Member    Prof. S.K Gupta      SEE  EE
 AEE     
DPCC      DPCC      Env. Deptt.   Member (Acd. Inst) (MSW) MSWM Cell

Nilothi STP (40 MGD)

Consent Status 

 Consent to Operate expired in 02-12-06. 
 Consent issued on 08.02.2010 valid upto 25.11.2010

Decision of Consent Management Committee (MSW) in its meeting dated 12.05.2009 :

No action

Action Taken Report

After examining the monthly analysis report for the month of Nov 2009 it was found that parameters are meeting the prescribed standards.   

Decision of Consent Management Committee (Orange) w.r.t. cases of MSW Cell dated 19.01.2010:

Issue renewal of consent.

Action Taken Report

Renewal of consent has been issued on 08.02.10.

 Examination of the monthly analysis report for the months of Dec 2009 to Jan 2010 shows that the unit’s parameters are meeting the prescribed standards.   
Monthly analysis reports for the month of Feb 2010 shows that, for the unit parameters are not meeting the prescribed standards w.r.t. TSS.    
Decision of Consent Management Committee (Orange) w.r.t. cases of MSW Cell dated 20.04.2010:
Issue letter for rectification of deficiencies observed after analysis of treated effluent.
Action taken/ Status after the meeting held on 20.04.2010:

4. Letter Issued for rectification of deficiencies observed after analysis of treated effluent on 24.05.10.

5. In response to our letter DJB has not submitted any reply.

6. Monthly analysis reports for the month of April, May and June 2010 shows that, the parameters are meeting the prescribed standards for the month of June.
Decision of Consent Management Committee (Orange) wrt cases of MSW Cell dated 09.08.2010:

No Action.
Chairman
M. S.
      Member    Prof. S.K Gupta      SEE  EE
 AEE     
DPCC      DPCC      Env. Deptt.   Member (Acd. Inst) (MSW) MSWM Cell

 Rohini STP (15 MGD)

Consent Status 

Applied for Consent to operate on 01-05-07. 

Consent to Operate issued on 08.02.2010 valid upto 30.04.2010
Not applied for renewal of consent to operate.

Decision of Consent Management Committee (MSW) in its meeting dated 12.05.2009:

D.O. letter from Chairman, DPCC to CEO, DJB for not meeting the norms & other deficiencies. 

Action Taken Report

As decided in CMC (MSWM) D.O letters dated 04.06.09 was issued. After examining the monthly analysis reports for the month of Aug., to Nov., 2009 it has been observed that during the time of monitoring STP found non-operational since March-2009.
Decision of Consent Management Committee (Orange) w.r.t. cases of MSW Cell dated 19.01.2010:
Issue Consent to operate.

Action Taken Report

Consent to operate was issued on 08.02.10 

After examining the monthly analysis reports for the months of Dec, 2009 to Feb 2010, it has been observed that during the time of monitoring STP was found non-operational due to no flow.

Decision of Consent Management Committee (Orange) w.r.t. cases of MSW Cell dated 20.04.2010:

Issue letter seeking application for CTO(R).

Issue an advisory letter to CEO, DJB regarding treatment of waste water from Rohini drain. 

Action taken/ Status after the meeting held on 20.04.2010:

5. Letter seeking application for Consent To Operate (Renewal) under Air and Water Acts issued on 03.05.10.

6. In response to our letter DJB has submitted a reply wherein it is requesting to extend the consent for further 3 years as various parameters since then are unchanged.

7. Not applied for renewal of consent to operate.
8. After examining the monthly analysis reports for the months of April 2010, May and June 2010, it was found that, STP was found non-operational for the month of June.
Decision of Consent Management Committee (Orange) wrt cases of MSW Cell dated 09.08.2010:

Issue a DO letter to CEO (DJB) to look into the matter as plant is non-operational.
Chairman
M. S.
      Member    Prof. S.K Gupta      SEE  EE
 AEE     
DPCC      DPCC      Env. Deptt.   Member (Acd. Inst) (MSW) MSWM Cell

Coronation Pillar STP (40 MGD)

Consent Status

Consent to operate issued on 28.2.2007 valid upto 12.03.2009. 

Renewal of Consent to operate issued on 08.02.2010 valid upto 11.03.2012. 

Decision of Consent Management Committee (MSW) in its meeting dated 12.05.2009 :

No action

Action Taken Report
After examining the monthly analysis report for the month of Nov 2009 it was found that parameters are meeting the prescribed standards.   

Old clarifier found non operational during inspection on 09.11.2009 by the officials of lab.

Applied for renewal on 12.03.2009.
Decision of Consent Management Committee (Orange) w.r.t. cases of MSW Cell dated 19.01.2010:

Issue renewal of consent.

Action Taken Report
Renewal of Consent to operate has been issued on 08.02.2010. 

After examining the monthly analysis report for the months Dec 2009  to  Feb 2010 it was found that for the month of Feb 2010  parameters are meeting the prescribed standards for Ph-I, II & Old Clarifier however, parameters are not meeting the prescribed standards w.r.t  TSS, BOD, Phosphate for Ph-III . 
In Dec 2009 and Jan 2010 for  Phase I, II and III parameters are meeting the prescribed standards, However the Old Clarifier unit was found Non operational .    

Decision of Consent Management Committee (Orange) w.r.t. cases of MSW Cell dated 20.04.2010:

Issue letter for rectification of deficiencies observed after analysis of treated effluent.

Action taken/ Status after the meeting held on 20.04.2010:

4. Letter for rectification of deficiencies observed after analysis of treated effluent issued on 26.05.10.

5. In response to our letter DJB has not submitted any reply.

6. After examining the monthly analysis report for the months April ,May and June  2010 it was found that for Phase I,II and Phase III all parameters are within the prescribed standards , However the Old Clarifier unit was found Non-operational at the time of inspection due to plant rehabilitation for the month of June.
Decision of Consent Management Committee (Orange) wrt cases of MSW Cell dated 09.08.2010:

No Action.
Chairman
M. S.
      Member    Prof. S.K Gupta      SEE  EE
 AEE     DPCC      DPCC      Env. Deptt.   Member (Acd. Inst) (MSW) MSWM Cell

Vasant Kunj STP (5.2 MGD)

Consent Status 

Consent to Operate issued on 22.09.05 valid up to 11-12-07. 

 Renewal of Consent to Operate issued on 08.02.10 valid up to 28-01-11. 
Decision of Consent Management Committee (MSW) in its meeting dated 12.05.2009 :

No action.

Action Taken Report
After examining the monthly analysis report for the month of Nov 2009 it was found that parameters are meeting the prescribed standards in case of plant 1 but not by Plant II w.r.t Po4.   

Decision of Consent Management Committee (Orange) w.r.t. cases of MSW Cell dated 19.01.2010:

Issue renewal of consent.

Also issue a letter for rectification of deficiencies to comply with the norms laid down.

Action Taken Report
 A letter dated 15.02.10 has been issued for rectification of deficiencies to comply with the norms laid down but no reply has been received. 

 Consent to Operate (Renewal) issued on 08.02.10. 

After examining the monthly analysis report for the months Dec 2009  to  Feb, 2010 it was found that in Feb 2010 parameters are meeting the prescribed standards in case of plant 1 but not by Plant II w.r.t Po4.  
In Jan 2010, parameters are meeting the prescribed standards in case of plant II but not by Plant I w.r.t Po4.  
In Dec 2009 it was found  parameters are meeting the prescribed standards.
CPCB has issued directions under section 18(1) (b) of the Water (Prevention and Control of Pollution) Act 1974 in the matter of discharge of treated sewage at Vasant Kunj STP to the lake on the District Park, Chaudhary Harsukh Marg, Safdarjung Enclave.

Decision of Consent Management Committee (Orange) w.r.t. cases of MSW Cell dated 20.04.2010:

Issue letter for rectification of deficiencies observed after analysis of treated effluent.
Action taken/ Status after the meeting held on 20.04.2010:

4. Letter for rectification of deficiencies observed after analysis of treated effluent issued on 26.05.10.

5. In response to our letter DJB has not submitted any reply.

6. After examining the monthly analysis report for the months April ,May  and June 2010 it was found that for plant I parameters are meeting the prescribed standards while for plant II parameters are not meeting the prescribed standards w.r.t Phosphate(6.9 mg/L) for the month of June. 
Decision of Consent Management Committee (Orange) wrt cases of MSW Cell dated 09.08.2010:

Issue letter to CEO, DJB  enclosing monthly monitoring reports for taking necessary action to comply with the norms, wherever the quality is not meeting the norms. 
Chairman
M. S.
      Member    Prof. S.K Gupta      SEE  EE
 AEE     
DPCC      DPCC      Env. Deptt.   Member (Acd. Inst) (MSW) MSWM Cell

Narela STP (10 MGD)

Consent Status 

Consent to Operate valid upto 14.01.2005. Renewal of Consent issued on 7-11-2007 valid up to 13-1-2008. 
Applied for renewal of consent on 3.01.2008, valid upto 13.01.2011.
Decision of Consent Management Committee (MSW) in its meeting dated 12.05.2009 :

D.O. Letter from Chairman, DPCC to CEO, DJB for not meeting the norms & other deficiencies.

Action Taken Report
As decided in CMC (MSWM) D.O letters dated 04.06.09 was issued.  After examining the monthly analysis report for the month of Nov 2009 it was found that parameters are meeting the prescribed standards.   

Decision of Consent Management Committee (Orange) w.r.t. cases of MSW Cell dated 19.01.2010:

Issue renewal of consent.

Action Taken Report
Renewal of consent was issued on 13.08.08, it is valid upto 13.01.2011.

 After examining the monthly analysis report for the month of Feb 2010 (as on 04.02.10) it was found that parameters are not meeting the prescribed standard w.r.t. Phosphate.   
However, another analysis report in the month of Feb 2010 (as on 22.02.10) shows that the parameters are meeting the prescribed standards.   

Decision of Consent Management Committee (Orange) w.r.t. cases of MSW Cell dated 20.04.2010:

No Action.

Action taken/ Status after the meeting held on 20.04.2010:

2. After examining the monthly analysis report for the months April ,May  and June 2010 it was found that parameters are meeting the prescribed standards for the month of June. 
Decision of Consent Management Committee (Orange) wrt cases of MSW Cell dated 09.08.2010:

No Action.
Chairman
M. S.
      Member    Prof. S.K Gupta      SEE  EE
 AEE     
DPCC      DPCC      Env. Deptt.   Member (Acd. Inst) (MSW) MSWM Cell

OKHLA STP , [Phase- I, II, III & IV, (12+30+37+45), Total 124 MGD)
Consent Status 

Consent to operate was granted by CPCB on 23.01.1987 (valid upto 31.12.88), 

Applied on 03.04.1998 issued by DPCC on 14.06.99 (valid upto 31.05.2000), 

Applied on 10.05.2000 issued by DPCC on 18.04.2001 (valid upto 17.04.2002).

Applied on 08.10.2002 issued by DPCC on 20.01.2004 (valid upto 17.04.2005).

Applied for renewal on 10.03.2005 for Phase I, II, III & IV Plant (124 MGD)
Consent is renewed for all the four plants on 03.06.2008 & valid upto 09.03.2011.

Decision of Consent Management Committee (MSW) in its meeting dated 12.05.2009 :

D.O. Letter from Chairman, DPCC to CEO, DJB for not meeting the norms & other deficiencies.

Action Taken Report
As decided in CMC (MSWM) D.O letters dated 04.06.09 was issued. After examining the monthly analysis report for the month of Nov 2009 it was found that parameters are meeting the prescribed standards in case of plants 1,2 and 3. Plant 4 is not meeting the norm laid down for Po4.  

Decision of Consent Management Committee (Orange) w.r.t. cases of MSW Cell dated 19.01.2010:

Issue letter to DJB to rectify the deficiencies to comply with the norms laid down as PO4 is not within the limit.

Action Taken Report
A letter dated 12.02.10 was issued to DJB to rectify the deficiencies to comply with the norms laid down as PO4 is not within the limit, but no reply has been received so far.

However, the monthly analysis reports of Dec 2010 show that parameters are meeting the prescribed standards in case of plants 1,4; Plant 3 is not meeting the norm laid down for Po4 and Plant 2 is not meeting the standards of TSS, BOD  and Phosphate.
The monthly analysis report for the month of Feb 2010 show that parameters are meeting the prescribed standards in case of Plant 1 ; Not meeting the standards w.r.t phosphate for plant 2 and 4 : Not meeting the standards w.r.t BOD and Phosphate in Plant 3
Decision of Consent Management Committee (Orange) w.r.t. cases of MSW Cell dated 20.04.2010:
Issue letter for rectification of deficiencies observed after analysis of treated effluent.
Action taken/ Status after the meeting held on 20.04.2010:

4. Letter for rectification of deficiencies observed after analysis of treated effluent issued on 26.05.10.

5. In response to our letter DJB has not submitted any reply.
6. After examining the monthly analysis report for the months April ,May  and June 2010 it was found that in case of Plant IV, the parameter is not meeting the prescribed standards w.r.t Phosphate (5.3mg/L) for the month of June.
Decision of Consent Management Committee (Orange) wrt cases of MSW Cell dated 09.08.2010:

Issue letter to CEO, DJB  enclosing monthly monitoring reports for taking necessary action to comply with the norms, wherever the quality is not meeting the norms. 
Chairman
M. S.
      Member    Prof. S.K Gupta      SEE  EE
 AEE     
DPCC      DPCC      Env. Deptt.   Member (Acd. Inst) (MSW) MSWM Cell

Okhla STP,Phase-V (16 MGD)

Consent Status 

Consent is renewed on 29.05.2008 & valid upto 16.12.2010. 
Decision of Consent Management Committee (MSW) in its meeting dated 12.05.2009 :
D.O. Letter from Chairman, DPCC to CEO, DJB for not meeting the norms & other deficiencies.

Action Taken Report
As decided in CMC (MSWM) D.O letters dated 04.06.09 was issued.  
After examining the monthly analysis report for the month of Nov 2009 found that STP is non-operational. 

Decision of Consent Management Committee (Orange) w.r.t. cases of MSW Cell dated 19.01.2010:

No action, as consent is valid.

Action Taken Report
After examining the monthly analysis report for the months of Dec 2009 and  Feb 2010 it was found that, parameters are not meeting the prescribed standards w.r.t phosphate.   
Decision of Consent Management Committee (Orange) w.r.t. cases of MSW Cell dated 20.04.2010:

Issue letter for rectification of deficiencies observed after analysis of treated effluent.
Action taken/ Status after the meeting held on 20.04.2010:

4. Letter for rectification of deficiencies observed after analysis of treated effluent issued on 24.05.10.
5. In response to our letter DJB has not submitted any reply.
6. After examining the monthly analysis report for the months of April , May and June 2010 it was found that, parameters are not meeting the prescribed standards w.r.t phosphate (5.3 mg/L) for the month of June.
Decision of Consent Management Committee (Orange) wrt cases of MSW Cell dated 09.08.2010:

Issue letter to CEO, DJB  enclosing monthly monitoring reports for taking necessary action to comply with the norms, wherever the quality is not meeting the norms. 
Chairman
M. S.
      Member    Prof. S.K Gupta      SEE  EE
 AEE     
DPCC      DPCC      Env. Deptt.   Member (Acd. Inst) (MSW) MSWM Cell

STP at C-DOT Campus, Chattarpur, Mehrauli, New Delhi-30. (125 KLD)

Consent Status 

Consent to operate expired on 12.4.2007.

Renewal of Consent issued on 03.06.2008 valid upto 10.03.2011.
Decision of Consent Management Committee (MSW) in its meeting dated 12.05.2009 :

No action. 

Action Taken Report
After examining the monthly analysis report for the month of Nov 2009 it was found that parameters are meeting the prescribed standards.   

Decision of Consent Management Committee (Orange) w.r.t. cases of MSW Cell dated 19.01.2010:

Ask the unit to apply for renewal of consent as its validity is going to expire on 10.3.2010.

Action Taken Report
The letter for renewal of consent could not be issued as actual date of expiry is 10.03.11 but due to typographical mistake the validity was written as10.03.2010.

 After examining the monthly analysis report for the months of Jan 2010 and Dec 2009 it was found that parameters are meeting the prescribed standards for the month of Jan 2010.  However parameters are not meeting the prescribed standards w.r. t Phosphate for the month of Dec 2009
Decision of Consent Management Committee (Orange) w.r.t. cases of MSW Cell dated 20.04.2010:

No Action.

Decision of Consent Management Committee (Orange) wrt cases of MSW Cell dated 09.08.2010:

No Action.
Chairman
M. S.
      Member    Prof. S.K Gupta      SEE  EE
 AEE     
DPCC      DPCC      Env. Deptt.   Member (Acd. Inst) (MSW) MSWM Cell

Bakkarwala STP, (3 MLD)
Consent Status 

Consent to Operate issued on 12.02.08 valid up to 20.05.2010.
Not applied for renewal of consent to operate.

Decision of Consent Management Committee (MSW) in its meeting dated 12.05.2009 :

No action. 

Action Taken Report
After examining the monthly analysis report for the month of Nov 2009 it was found that parameters are meeting the prescribed standards.   

Decision of Consent Management Committee (Orange) w.r.t. cases of MSW Cell dated 19.01.2010:

No action, as the consent is valid.

Action Taken Report
After examining the monthly analysis reports from  Dec 2009 to Feb 2010 it was found that parameters are not  meeting the prescribed standards w.r.t. TSS and BOD in Dec 2009 , parameters are meeting the prescribed standards in Jan 2010, However  parameters are not  meeting the prescribed standards w.r.t. TSS in Feb 2010.
Decision of Consent Management Committee (Orange) w.r.t. cases of MSW Cell dated 20.04.2010:
Issue letter for rectification of deficiencies observed after analysis of treated effluent and also seek application for CTO(R).
Action taken/ Status after the meeting held on 20.04.2010:

4. Letter for rectification of deficiencies observed after analysis of treated effluent and also seeking application for Consent to Operate (Renewal) under Air and Water Acts issued on 26.05.10.

5. Executive Engineer DD(S)I, Slum & JJ Department submitted a reply to our letter stating that the STP has been handed over to DJB and any further communication should be made with DJB.
6. Not applied for consent to operate (renewal).
Decision of Consent Management Committee (Orange) wrt cases of MSW Cell dated 09.08.2010:

Issue a reminder seeking application for renewal of consent to operate.
Chairman
M. S.
      Member    Prof. S.K Gupta      SEE  EE
 AEE     
DPCC      DPCC      Env. Deptt.   Member (Acd. Inst) (MSW) MSWM Cell

Molar Band STP (3 MLD)
Consent Status 

Consent to Operate issued on 12.02.08 valid upto 20.05.2010.
Not applied for consent to operate.

Decision of Consent Management Committee (MSW) in its meeting dated 12.05.2009 :

D.O. Letter from Chairman, DPCC to CEO, DJB for not meeting the norms & other deficiencies.

Action Taken Report
As decided in CMC (MSWM) D.O letters dated 04.06.09 was issued.  After examining the monthly analysis report for the month of Nov 2009 it was found that parameters are not meeting the prescribed standards w.r.t. TSS, BOD and Po4.   

Decision of Consent Management Committee (Orange) w.r.t. cases of MSW Cell dated 19.01.2010:

Issue letter for rectification of deficiencies to comply with the norms laid down.

Action Taken Report
A letter dated 12.02.10 has been issued for rectification of deficiencies to comply with the norms laid down.

A reply letter was received on 11.03.10 stating that Molar Band STP was handed over to Mr P.C. Sharma, SDW, DJB on 12.05.08; and thus he should be contacted for the rectification of deficiencies in the STP Plant.

After examining the monthly analysis report for the months of Dec 2009 and Feb 2010. It was found that for Feb 2010 parameters are not meeting the prescribed standards w.r.t. TSS, BOD and PO4. .

The plant was found Non operational at the time of monitoring in the month of 

Dec 2009.
Decision of Consent Management Committee (Orange) w.r.t. cases of MSW Cell dated 20.04.2010:
Issue letter for rectification of deficiencies observed after analysis of treated effluent and also seek application for CTO(R).
Action taken/ Status after the meeting held on 20.04.2010:

5. Letter for rectification of deficiencies observed after analysis of treated effluent and also seeking application for Consent to Operate (Renewal) under Air and Water Acts issued on 25.05.10.

6. Executive Engineer DD(S)I Slum & JJ Department submitted a reply to our letter stating that the STP has been handed over to DJB and any further communication should be made with DJB.

7. After examining the monthly analysis report for the months of April, May and June 2010, it was found that the plant was found non operational at the time of monitoring for the month of June. 

8. Not applied for consent to operate (renewal).

Decision of Consent Management Committee (Orange) wrt cases of MSW Cell dated 09.08.2010:

Issue a reminder seeking application for renewal of consent to operate.
Chairman
M. S.
      Member    Prof. S.K Gupta      SEE  EE
 AEE     

DPCC      DPCC      Env. Deptt.   Member (Acd. Inst) (MSW) MSWM Cell
Holambi Kalan STP, (2 MLD)
Consent Status 

Consent to Operate issued on 14.05.04 valid upto 08.10.06.

Not applied for renewal of consent to operate.

Decision of Consent Management Committee (MSW) in its meeting dated 12.05.2009 :

D.O. Letter from Chairman, DPCC to CEO, DJB for not meeting the norms & other deficiencies.

Action Taken Report
As decided in CMC (MSWM) D.O letters dated 04.06.09 was issued.  The plant is non operational and is to be taken over by DJB from Dept of JJ Clusters.
Decision of Consent Management Committee (Orange) w.r.t. cases of MSW Cell dated 19.01.2010:

Issue letter seeking application for renewal of consent.

Also inspect and report to find out the operational status.

Action Taken Report
A letter dated 12.02.10 was issued seeking application for renewal of consent, but no reply has been received so far.
Also unit was inspected on 08.04.10 by the official(s) of DPCC and the findings are as under:
· At the time of inspection the unit was found Closed/non operational.

· As informed by the local authorities the unit has remained closed since the past two or two and a half years (approx).

Decision of Consent Management Committee (Orange) w.r.t. cases of MSW Cell dated 20.04.2010:
Issue a letter to DJB seeking clarification regarding non operation of the STP. 

Action taken/ Status after the meeting held on 20.04.2010:

4. Letter to DJB seeking clarification regarding non operation of the STP issued on 7.06.2010.

5. Executive Engineer DD(S)I Slum & JJ Department submitted a reply to our letter stating that the STP is to be handed over to DJB. The deficiencies to the paid to DJB for restoration of the STP are in process of approval.

6. Not applied for renewal of consent to operate.
Decision of Consent Management Committee (Orange) wrt cases of MSW Cell dated 09.08.2010:

Issue a reminder seeking application for renewal of consent to operate.
Chairman
M. S.
      Member    Prof. S.K Gupta      SEE  EE
 AEE     
DPCC      DPCC      Env. Deptt.   Member (Acd. Inst) (MSW) MSWM Cell

Tikri Khurd STP (2 MLD)
Consent Status 

Consent to Operate expired on 12.06.06. 
Not applied for renewal of consent to operate.

Decision of Consent Management Committee (MSW) in its meeting dated 12.05.2009 :

D.O. Letter from Chairman, DPCC to CEO, DJB for not meeting the norms & other deficiencies.

Action Taken Report

As decided in CMC (MSWM) D.O letters dated 04.06.09 was issued.  The plant is non operational and is to be taken over by DJB from Dept of JJ Clusters.

Decision of Consent Management Committee (Orange) w.r.t. cases of MSW Cell dated 19.01.2010:

Issue letter seeking application for renewal of consent.

Also inspect and report to find out the operational status.

Action Taken Report
As decided in CMC (MSWM) a letter was issued on 12.02.10. The unit has not submitted an application for renewal of consent so far. 
During inspection the plant was found closed/ non operational, as per local inquiry the unit has closed from last two years.
Decision of Consent Management Committee (Orange) w.r.t. cases of MSW Cell dated 20.04.2010:

Issue a letter to DJB seeking clarification regarding non operation of the STP. 

Action taken/ Status after the meeting held on 20.04.2010:

4. Letter to DJB seeking clarification regarding non operation of the STP issued on 09.06.10.

5. Executive Engineer DD(S)I Slum & JJ Department submitted a reply to our letter, stating that Tikri Khurd is to be handed over to DJB. The deficiencies to the paid to DJB for restoration of the STP are in process of approval.

6. Not applied for renewal for consent to operate.

Decision of Consent Management Committee (Orange) wrt cases of MSW Cell dated 09.08.2010:

Issue a reminder seeking application for renewal of consent to operate.
Chairman
M. S.
      Member    Prof. S.K Gupta      SEE  EE
 AEE     
DPCC      DPCC      Env. Deptt.   Member (Acd. Inst) (MSW) MSWM Cell

Ghitorni STP,  (5 MGD)
Consent Status 

Not applied for consent.

Decision of Consent Management Committee (MSW) in its meeting dated 12.05.2009 :

D.O. Letter from Chairman, DPCC to CEO, DJB for not meeting the norms & other deficiencies.

Action Taken Report
As decided in CMC (MSWM) D.O letters dated 04.06.09 was issued.  Letter received from DDA stating that the plant is non operational since long due to absence of raw sewage to the plant.   

Decision of Consent Management Committee (Orange) w.r.t. cases of MSW Cell dated 19.01.2010:

Issue letter seeking consent application.

Also inspect and report to find out the operational status.

Action Taken Report
A letter dated 12.02.10 was issued seeking consent application, but no reply has been received so far.

Also unit was inspected on 09.04.10 by the official(s) of DPCC and the findings are as under:

· The unit was found closed. 

· As informed by Sh. Santram, Guard, DJB, telephonically the unit was closed / non-operational from last two-three Years (approx.). 
Decision of Consent Management Committee (Orange) w.r.t. cases of MSW Cell dated 20.04.2010:
Issue an advisory letter to CEO, DJB.

Action taken/ Status after the meeting held on 20.04.2010:

4. An advisory letter to CEO, DJB issued on 11.06.10.

5. Executive Engineer (SDW)V, Delhi Jal Board, submitted a reply to our letter, stating that the STP is neither commissioned as yet nor it is in operation at present as no sewerage has been connected so far with the STP.

6. Not applied for consent.
Decision of Consent Management Committee (Orange) wrt cases of MSW Cell dated 09.08.2010:

Issue a reminder seeking application for consent to operate.
Chairman
M. S.
      Member    Prof. S.K Gupta      SEE  EE
 AEE     
DPCC      DPCC      Env. Deptt.   Member (Acd. Inst) (MSW) MSWM Cell

STP at National Bureau of Plant Genetic Resources ICAR, Pusa Campus,  (80 KLD)
Consent Status 

Consent to Operate expired on 07.06.07. 
Not applied for renewal of consent.
Decision of Consent Management Committee (MSW) in its meeting dated 12.05.2009 :

Issue reminder for not meeting the norms & Bank Guarantee as sought earlier.   
Action Taken Report
Reminder was issued on 28.05.09 to comply with norms & Bank Guarantee Rs. 1 lakh. Letter dated 12.06.09 were received on 17.06.09 form NBPGR. And has submitted the Test Certificate from Delhi Water and General test Lab (P) Ltd. Forwarded by CPWD.  Test Certificate is for samples of waste water before inlet and waste water after outlet tested on 15.05.09 to 18.05.09 by Delhi Water & General Test Lab (P) Ltd. 302, B-11, Commercial Complex, Ranjeet Nagar, New Delhi-110008.
BG not submitted.
After examining the monthly analysis reports for the month of Nov 2009, it was found that parameters w.r.t. TSS; BOD & PO4 are not meeting the prescribed standards.
Decision of Consent Management Committee (Orange) w.r.t. cases of MSW Cell dated 19.01.2010:

Issue letter seeking application for renewal of consent and rectification of deficiencies to comply with the norms laid down for parameters TSS, BOD and PO4.

Action Taken Report

Letter dated 12.02.10 for seeking application for renewal of consent and rectification of deficiencies to comply with the norms laid down for parameters TSS, BOD and PO4. However, no reply received so far.

After examining the monthly analysis reports for the months Dec 2009 to Jan 2010, it was found  for the month of Jan 2010 ,  parameters are not meeting the prescribed standards w.r.t. TSS; BOD & COD. However; for the month of Dec 2009 Parameters are not meeting the prescribed standards w.r.t TSS and BOD 
BG not submitted.
Decision of Consent Management Committee (Orange) w.r.t. cases of MSW Cell dated 20.04.2010:

Issue a letter to the unit seeking application for CTO(R) with a copy to Director of National Bureau of Plant Genetic Resources ICAR.
Action taken/ Status after the meeting held on 20.04.2010:

4. Letter to the unit seeking application for Consent to Operate (Renewal) with a copy to Director of National Bureau of Plant Genetic Resources ICAR issued on 26.05.10.

5. Sr. Admn. Officer of the STP submitted a reply, seeking guidance and advices from DPCC to improve the performance of their STP/ETP.

6. Not applied for consent to operate (renewal).
Decision of Consent Management Committee (Orange) wrt cases of MSW Cell dated 09.08.2010:
Issue a reminder seeking application for renewal of consent to operate and send list of empanelled consultants to improve STP’s performance.
Chairman
M. S.
      Member    Prof. S.K Gupta      SEE  EE
 AEE     DPCC      DPCC      Env. Deptt.   Member (Acd. Inst) (MSW) MSWM Cell

Agenda No. 3
Haiderpur Water Treatment Plant
Consent status:

· Consent to Establish issued on 08.02.10 valid upto 07.02.2011.

· Consent to Operate issued on 08.02.10 valid upto 12.02.2011.
Decision of Consent Management Committee (MSW) in its meeting dated 12.05.2009 : 

D.O. Letter from Chairman, DPCC to CEO, DJB for not meeting the norms & other deficiencies. 

Action Taken Report

As decided in CMC (MSWM) D.O letter dated 04.06.09 was issued regarding operation and treatment of STPs.  A perusal of report of monitoring done in month of Nov., 2009 are meeting the prescribed standards.  
Decision of Consent Management Committee (Orange) wrt cases of MSW Cell dated 19.01.2010:

Issue consent to establish and consent to operate.

Inform DPCC laboratory to monitor the quality of waste water discharged by the plant instead of analyzing the quality of drinking water.

Action Taken Report
· As decided in CMC (MSW) consent to establish and consent to operate was issued on 08.02.2010. 

· Further DPCC Laboratory has informed to monitor the quality of waste water discharged by the plant instead of analyzing the quality of drinking water.

Decision of Consent Management Committee (Orange) wrt cases of MSW Cell dated 20.04.2010:

No Action.
Decision of Consent Management Committee (Orange) wrt cases of MSW Cell dated 09.08.2010:

No action. Inspect the plant to ascertain final discharge, after recycling, to drain/sewer. 

Chairman
M. S.
      Member    Prof. S.K Gupta      SEE  EE
 AEE     
DPCC      DPCC      Env. Deptt.   Member (Acd. Inst) (MSW) MSWM Cell

                                 Nangloi Water Treatment Plant
Consent status:

· Consent to Establish issued on 03.11.08 valid upto 09.10.2009.
· Not applied for consent to operate. 

Decision of Consent Management Committee (MSW) in its meeting dated 12.05.2009 : 

D.O. Letter from Chairman, DPCC to CEO, DJB for not meeting the norms & other deficiencies. 

Action Taken Report

As decided in CMC (MSWM) D.O letter dated 04.06.09 was issued. A perusal of monitoring report done in month of Nov., 2009 are meeting the prescribed standards.   

Decision of Consent Management Committee (Orange) wrt cases of MSW Cell dated 19.01.2010:

Issue letter seeking application for consent to operate.

Inform DPCC laboratory to monitor the quality of waste water discharged by the plant instead of analyzing the quality of drinking water.

Action Taken Report
· As decided in CMC (MSW) a letter for submission of application for renewal of consent was issued on 11.02.2010. However unit has not submitted any application so far. 

· Further DPCC Laboratory has informed to monitor the quality of waste water discharged by the plant instead of analyzing the quality of drinking water.

Decision of Consent Management Committee (Orange) wrt cases of MSW Cell dated 20.04.2010:

Issue reminder seeking application for consent to operate.

Action taken/ Status after the meeting held on 20.04.2010:

3. Reminder letter seeking application for Consent to Operate under Air and Water Acts issued on 26.05.10. The same was received back undelivered.

4. The unit had not applied for consent to operate.
Decision of Consent Management Committee (Orange) wrt cases of MSW Cell dated 09.08.2010:

Issue reminder seeking application for consent to operate.

Chairman
M. S.
      Member    Prof. S.K Gupta      SEE  EE
 AEE     
DPCC      DPCC      Env. Deptt.   Member (Acd. Inst) (MSW) MSWM Cell

Wazirabad Water Treatment Plant

Consent status:

· Consent to Establish issued on 08.02.10 valid upto 07.02.2011.
· Not applied for consent to operate.

Decision of Consent Management Committee (MSW) in its meeting dated 12.05.2009 : 

D.O. Letter from Chairman, DPCC to CEO, DJB for not meeting the norms & other deficiencies. 

Action Taken Report

As decided in CMC (MSWM) D.O letter dated 04.06.09 was issued. A perusal of monitoring report done in month of Nov., 2009 are meeting the prescribed standards.   

Decision of Consent Management Committee (Orange) wrt cases of MSW Cell dated 19.01.2010:

Issue consent to establish and ask the unit to apply for consent to operate.

 Inform DPCC laboratory to monitor the quality of waste water discharged by the plant instead of analyzing the quality of drinking water.

Action Taken Report
· As decided in CMC (MSW) consent to establish and a letter for submission of application for consent to operate were issued on 08.02.2010 & 11.02.2010 respectively.  

· Further DPCC Laboratory has informed to monitor the quality of waste water discharged by the plant instead of analyzing the quality of drinking water.

Decision of Consent Management Committee (Orange) wrt cases of MSW Cell dated 20.04.2010:

Issue reminder seeking application for consent to operate. 

Action taken/ Status after the meeting held on 20.04.2010:

3. Reminder letter seeking application for Consent to Operate under Air and Water Acts issued on 25.05.10.  

4. The unit has not applied for consent to operate.

Decision of Consent Management Committee (Orange) wrt cases of MSW Cell dated 09.08.2010:

Issue reminder seeking application for consent to operate. Inspect the plant to ascertain final discharge, after recycling, to drain/sewer.

Chairman
M. S.
      Member    Prof. S.K Gupta      SEE  EE
 AEE     
DPCC      DPCC      Env. Deptt.   Member (Acd. Inst) (MSW) MSWM Cell

Chandrawal  Water Treatment Plant-I

(35 MGD)

Consent status:

· Consent to Establish issued on 08.02.10 valid upto 07.02.2011.
·  Applied for consent to operate on 28.06.10.

Decision of Consent Management Committee (Orange) wrt cases of MSW Cell dated 19.01.2010:

Issue consent to establish and ask the unit to apply for consent to operate.

 Inform DPCC laboratory to monitor the quality of waste water discharged by the plant instead of analyzing the quality of drinking water.

Action Taken Report
· As decided in CMC (MSW) consent to establish and a letter for submission of application for consent to operate were issued on 08.02.2010 & 11.02.2010 respectively.  

· Further DPCC Laboratory has informed to monitor the quality of waste water discharged by the plant instead of analyzing the quality of drinking water.

Decision of Consent Management Committee (Orange) wrt cases of MSW Cell dated 20.04.2010:

Issue reminder seeking application for consent to operate.

Action taken/ Status after the meeting held on 20.04.2010:

3. Reminder letter seeking application for Consent to Operate under Air and Water Acts issued on 25.05.10.  

4. Applied for consent to operate on 28.06.10.

Decision of Consent Management Committee (Orange) wrt cases of MSW Cell dated 09.08.2010:

Issue CTO.

Chairman
M. S.
      Member    Prof. S.K Gupta      SEE  EE
 AEE     
DPCC      DPCC      Env. Deptt.   Member (Acd. Inst) (MSW) MSWM Cell

Chandrawal  Water Treatment Plant-II

(55 MGD)
Consent status:

· Consent to Establish issued on 08.02.10 valid upto 07.02.2011.
· Applied for consent to operate on 28.06.10
Decision of Consent Management Committee (MSW) in its meeting dated 12.05.2009 : 

D.O. Letter from Chairman, DPCC to CEO, DJB for not meeting the norms & other deficiencies. 
Action Taken Report

As decided in CMC (MSWM) D.O letter dated 04.06.09 was issued. A perusal of monitoring report done in month of Nov., 2009 are meeting the prescribed standards.  
Decision of Consent Management Committee (Orange) wrt cases of MSW Cell dated 19.01.2010:

Issue consent to establish and ask the unit to apply for consent to operate.

 Inform DPCC laboratory to monitor the quality of waste water discharged by the plant instead of analyzing the quality of drinking water.

Action Taken Report
· As decided in CMC (MSW) consent to establish and a letter for submission of application for consent to operate were issued on 08.02.2010 & 11.02.2010 respectively.  

· Further DPCC Laboratory has informed to monitor the quality of waste water discharged by the plant instead of analyzing the quality of drinking water.

Decision of Consent Management Committee (Orange) wrt cases of MSW Cell dated 20.04.2010:

Issue reminder seeking application for consent to operate.

Action taken/ Status after the meeting held on 20.04.2010:

3. Reminder letter seeking application for Consent to Operate under Air and Water Acts issued on 26.05.10.  

4. Applied for consent to operate on 28.06.10.
Decision of Consent Management Committee (Orange) wrt cases of MSW Cell dated 09.08.2010:

Issue CTO.

Chairman
M. S.
      Member    Prof. S.K Gupta      SEE  EE
 AEE     
DPCC      DPCC      Env. Deptt.   Member (Acd. Inst) (MSW) MSWM Cell

Bhagirathi Water Treatment Plant

Consent status:

· Consent to Establish issued  on 08.02.10 valid upto 07.02.2011.
· Not applied for consent to operate.

Decision of Consen Management Committee (MSW) in its meeting dated 12.05.2009 : 

D.O. Letter from Chairman, DPCC to CEO, DJB for not meeting the norms & other deficiencies. 
Action Taken Report

As decided in CMC (MSWM) D.O letter dated 04.06.09 was issued. A perusal of monitoring report done in month of Nov., 2009 are meeting the prescribed standards.   
Decision of Consent Management Committee (Orange) wrt cases of MSW Cell dated 19.01.2010:

Issue consent to establish and ask the unit to apply for consent to operate.

 Inform DPCC laboratory to monitor the quality of waste water discharged by the plant instead of analyzing the quality of drinking water.

Action Taken Report
· As decided in CMC (MSW) consent to establish and a letter for submission of application for consent to operate were issued on 08.02.2010 & 11.02.2010 respectively.  

· Further DPCC Laboratory has informed to monitor the quality of waste water discharged by the plant instead of analyzing the quality of drinking water.
Decision of Consent Management Committee (Orange) wrt cases of MSW Cell dated 20.04.2010:

Issue reminder seeking application for consent to operate.

Action taken/ Status after the meeting held on 20.04.2010:

3. Reminder letter seeking application for Consent to Operate under Air and Water Acts issued on 26.05.10.  

4.  Not applied for consent to operate.

Decision of Consent Management Committee (Orange) wrt cases of MSW Cell dated 09.08.2010:

Issue reminder seeking application for consent to operate.

Chairman
M. S.
      Member    Prof. S.K Gupta      SEE  EE
 AEE     
DPCC      DPCC      Env. Deptt.   Member (Acd. Inst) (MSW) MSWM Cell

Sonia Vihar Water Treatment Plant
Consent status:

· Consent to operate granted on 13.03.2007 valid upto 08.12.2009.
· Not applied for consent to operate (renewal). 
Decision of Consent Management Committee (MSW) in its meeting dated 12.05.2009 : 

No action.

Action Taken Report

A perusal of monitoring report done in month of Nov., 2009 are meeting the prescribed standards.   
Decision of Consent Management Committee (Orange) wrt cases of MSW Cell dated 19.01.2010:

Ask the unit to apply for renewal of consent.

 Inform DPCC laboratory to monitor the quality of waste water discharged by the plant instead of analyzing the quality of drinking water.

Action Taken Report
· As decided in CMC (MSW) a letter for submission of application for renewal of consent was issued on 11.02.2010. However unit has not submitted any application so far. 

· Further DPCC Laboratory has informed to monitor the quality of waste water discharged by the plant instead of analyzing the quality of drinking water.
Decision of Consent Management Committee (Orange) wrt cases of MSW Cell dated 20.04.2010:

Issue reminder seeking application for consent to operate.

Action taken/ Status after the meeting held on 20.04.2010:

3. Reminder letter seeking application for Consent to Operate under Air and Water Acts issued on 26.05.10.  

4. Not applied for consent to operate (renewal).

Decision of Consent Management Committee (Orange) wrt cases of MSW Cell dated 09.08.2010:

Issue reminder seeking application for consent to operate.

Chairman
M. S.
      Member    Prof. S.K Gupta      SEE  EE
 AEE     
DPCC      DPCC      Env. Deptt.   Member (Acd. Inst) (MSW) MSWM Cell

Agenda No. 4

Jhilmil & Friends Colony Indl Area CETP ( 16.8 MLD)
Consent status of CETP

· Consent to operate issued on 28.02.07 to CETP society for period of three years and valid up 07.01.2010. 

· Applied for Renewal of Consent on 04.01.2010.

· CTR issued on 07.05.10 and valid upto 03.01.2013.

· Applied for renewal of authorization on 24.06.2010.

Decision of Consent Management Committee (Orange) wrt cases of MSW Cell dated 19.01.2010:

Issue letter for rectification of deficiencies observed during the inspection and monitoring of waste water and submission of Bank Guarantee as sought earlier.
Action Taken Report
5. A letter regarding rectification of deficiencies observed during the inspection and monitoring of waste water and submission of Bank Guarantee as sought earlier  was issued on 17.02.10
6. A letter was issued on 16.02.10 regarding “Installation of TOC Analyzer/ BOD Biosensor at Jhilmil & Friends Colony Indl. Area CETP”.

7. In response of our letter dated 17.02.10 a reply has received on 5.03.10 regarding the rectification of deficiencies. Copy of same is enclosed with agenda

8. A letter was received on 29.03.10 regarding the “Installation of TOC Analyzer/ BOD Biosensor at Jhilmil & Friends Colony Indl. Area CETP” stating that Jhilmil CETP has being designed/ installed and commissioned on physio-chemical treatment process not on biological treatment technology and thus society feels no need to install TOC Analyzer/ BOD Biosensor.

CETP was inspected by team of DPCC officials on 29.03.10 and observations made are as under: 
· Flow meter installed after equalization tank found in operation. Meter reading- 33435
· Out of two equalization tank, at present only one equalization tank is in use and other one is being dried to de-silt the silt.
· Pressure gauge installed with 4 DMFs and 6 ACFs has not been replaced so far
· One vacuum filter found out of order and another is also not functioning properly.

· Cleaning of pre chlorination tank is required due to scum.

· No proper arrangement for removal of oil and grease.

· Suitable V- notch arrangement is required in Tube settler weir plate.
As per DPCC analysis report, parameters not complying with the prescribed norms during following months are as under:-

	December, 09
	                     January, 10


	Inlet
	Outlet
	Inlet
	Outlet

	TSS-276          
	Cl-1500                  TDS-3450

Fluoride- 2.4
	-
	Cl-1100


	February, 10

	Cu-4.1          
	Cl-1020               


All Values are in mg/l expect pH

Decision of Consent Management Committee (Orange) wrt cases of MSW Cell dated 20.04.2010:
Issue CTO(R). Also issue a letter for rectification of deficiencies observed during the last two inspections and indicating the parameters which are exceeding the prescribed limits during the monitoring except TDS and also ask the unit to submit fresh application for authorization under HWM Rules.

Action taken/ Status after the meeting held on 20.04.2010:

4. Consent to Operate (Renewal) under Air and Water Acts issued on 07.05.2010. Letter Issued for rectification of deficiencies observed during the last two inspections and indicating the parameters which are exceeding the prescribed limits during the monitoring except TDS and also asking the unit to submit fresh application for authorization under HWM Rules on 25.05.2010.

5. In response of our letter dated 25.05.10 a reply has been received on 28.06.10 regarding the rectification of deficiencies. In letter they have mentioned that parameters are within control except at the inlet TSS, pressure gauges are under replacement. Also vacuum filter issue was indicated to DPCC with relevant details. The cleaning of pre-chlorination tank is being taken on urgent basis, the oil & grease system has been thoroughly overhauled and modified to suite the flow conditions and the weir plate arrangement is being pursued by the society.
6. Applied for renewal of authorization on 24.06.2010.
CETP was inspected by team of DPCC officials on 10.06.2010 and observations made are as under: 
· Flow meter installed after equalization tank found in operation. Meter reading 598343 m3.

· There are two equalization tanks, out of which one is being used for treatment of received effluent and other is being used for storage of sludge.

· Pressure gauge installed with 4 DMFs and 6 ACFs has not been replaced so far.
· One vacuum filter found out of order and another is also not functioning properly. Proper arrangement is required for removing/ solidification of sludge.

· Cleaning of pre chlorination tank is required due to scum.

· No proper arrangement for removal of oil and grease.

· Suitable V- notch arrangement is required in Tube settler weir plate.

· Treated waste water is being by-passed from DMF’s and ACF’s due to maintenance work.
As per DPCC analysis report, parameters not complying with the prescribed norms during following months are as under:-

	April,2010
	May,2010

	Inlet
	Outlet
	Inlet
	Outlet

	    TSS- 440    
	Cl-1680

Flouride-3.5          
	
	Cl- 4300

Sulphide-4.0



	June, 10

	Meeting 
the Standards
 except TDS         

            


All Values are in mg/l expect pH
Decision of Consent Management Committee (Orange) wrt cases of MSW Cell dated 09.08.2010:
Issue authorization (Renewal) under HWM Rules.

Chairman
M. S.
      Member    Prof. S.K Gupta      SEE    EE
      AEE     

DPCC      DPCC      Env. Deptt.   Member (Acd. Inst) (MSW) MSWM Cell

GTK Road Indl Area CETP ( 6 MLD)
Consent status of CETP
· CTE issued to DSIIDC on 20.01.04 valid upto 19.01.05. 

· CTO issued to DSIIDC on 15.09.04 valid upto 27.07.07.

· Not applied for consent to operate.
· Authorization issued on 27.01.2005. Valid upto 26.01.07.

·  Not applied for renewal of authorization.

Decision of Consent Management Committee (Orange) wrt cases of MSW Cell dated 19.01.2010:

Issue letter for rectification of deficiencies observed during the inspection and monitoring of waste water and submission of Bank Guarantee as sought earlier.
Also, issue a SCN for launching prosecution for not filing consent application in spite of number of letters.

Action taken report 
4. A letter regarding rectification of deficiencies observed during the inspection and monitoring of waste water and submission of Bank Guarantee as sought earlier was issued on 18.02.10 and SCN for launching prosecution was issued 
5. A letter was issued on 16.02.10 regarding “Installation of TOC Analyzer/ BOD Biosensor at GTK Road Indl. Area CETP”.
6. In response to our letter dated 18.02.10 CETP has submitted its reply; copy of the same is enclosed with agenda. Further, in regard to launching prosecution CETP has submitted its reply, legal cell of DPCC has opinioned that “ gone through the records of the file it is very much clear that CETP Society has not applied for renewal of consent under water act 1974 apart from continuing deficiencies in meetings prescribed standards , despite numerous letters for rectification of deficiencies . Even after receiving notice for applying for consent and in absence prosecution shall be launched, CETP society had sent very wrong, baseless reply. ( page 419/c – 422/c) Further latest inspection still confirms the fact of deficiencies in meeting standards. In these circumstances for case must be considered for prosecution. 

	December, 09
	                     January, 10


	Inlet
	Outlet
	Inlet
	Outlet

	  -       
	 -              
	TSS -1156

        Zn - 6.05

Cr(T) -7.14
	Cl-1600


	                          February, 10

	Inlet
	Outlet

	TSS-1072         
	Cl- 1120               


All Values are in mg/l expect pH
Decision of Consent Management Committee (Orange) wrt cases of MSW Cell dated 20.04.2010:

Issue letter to the Society directing them to apply for CTO (R) failure of which may lead to the appropriate action under the provisions of Air, Water Acts and CETP Act, with copy to Commissioner of Industries.

Action taken/ Status after the meeting held on 20.04.2010:

7. Letter Issued to the Society directing them to apply for CTO (R) failure of which may lead to the appropriate action under the provisions of Air, Water Acts and CETP Act, with copy to Commissioner of Industries on 02.06.2010. 

8. A copy of letter addressed to DSIIDC dated 19.05.2010 was received by DPCC in which plant management committee stated that the system provide to them was never fit to perform as per EPA norms, no solution has been provided for discharge of treated water, no space has been provided for disposal of solid waste and no possession of adjoining garden had been given for necessary modification of the plant, therefore they are hard pressed for disposal of solid waste and servicing of the complete plant and machinery. Moreover, the term of the said agreement is near its expiry so please note that we will not be responsible to operate the plant & machinery at the site without the above support of your office failing which we shall not be responsible in ay manner for any consequences in relation to the above subject matter.

9. CETP Society has submitted its reply regarding rectification of deficiencies, in which they are stating as below:-

· That the flow meter provided to the society had manufacturing defects since the day of start and was never provided to the society in working conditions.

· That both the vacuum filters are in working condition and one is standby so at a moment only one is used.

· That the pumps are in the depths of the waste water sump and permanent solution has been made by installing a pump which is already in the knowledge of the authorities including DSIDC. Moreover, even after our repeated request no arrangement has been made to repair the said pumps of the waste water sump.

· There is no anaerobic reaction can be seen in the sludge thickener. Moreover, there is aeration process at the sludge thickener.

· That all the pressure gauges are working and functional. As we have already submitted that there is standby mechanism at each batch of the process so we use to run the DMFs and ACFs according to the requirement of the volume of the effluent.

· We are working with the system which was made available to us and there is nothing at our end to make changes for storing the sludge under the vacuum filter drums.

· We have no sources to increase the flow as it is actual flow of the area and the designing authority is responsible for such an overdesigned installation of the plant. 

Besides above CETP society has also mentioned following points:-

· To provide one technical officer to assist the society once in a week for technical support and collection of the data from the members.

· To provide us space for disposal of solid waste from the CETP Complex;

· To allow discharge of treated water without any activated carbon treatment as this is a national waste, what to say of financial burden to the society and to the occupiers as you already aware that treated water is drained in the open drains;

· To assist the Society in designing a new Plant as the existing Plant has already completed its age;

· To supply copies of all test reports conducted till date as some of these have not been provided to us regularly for our record and needful action.

· To supply the details of the occupiers of our industrial who has applied for consent and to whom the consent to operate and consent to established has been provided by your esteemed department so as to trace these units working in our industrial area.

10. Not applied for consent to operate and renewal of authorization under HWM Rules
11. No response has been received from the office of the Commissioner of Industries.
12.  CETP Society has e-mailed to Chairman, DPCC regarding non payment of operation and Maintenance charges for CETP GTK, wherein they have requested to initiate prompt action against the15 units who are not paying their dues even after receipt of various bills, notice and reminders issued to them by society. 

CETP was inspected by team of DPCC officials on 14.06.2010 and observations made are as under: 
· No flow meter at inlet of CETP.

· Agitators in equalization tanks found in operation.

· Pump for lifting waste water generated from sludge thickener & vacuum filter drum has been provided.

· Pressure gauges installed with two ACF’s are under repair.

· Out of two vacuum filter drums one is in operation.

As per DPCC analysis report, parameters not complying with the prescribed norms during following months are as under:-

	April,2010
	May,2010

	Inlet
	Outlet
	Inlet
	Outlet

	TSS-1132        
	Fluoride-2.3          
	-
	Cl-1180




	                          June, 10

	Inlet
	Outlet

	TSS-448       
	Meeting Standards

           


         

All Values are in mg/l expect pH
Decision of Consent Management Committee (Orange) wrt cases of MSW Cell dated 09.08.2010:

Issue D O letter to the Commissioner of Industries requesting him to take appropriate action against the CETP Society with in 15 days under the provisions of CETP Act , failing which action as decided earlier to prosecute the Society will be taken. Also, the list of defaulters provided by Society to be sent to the Appropriate Authority.

Chairman
M. S.
      Member    Prof. S.K Gupta      SEE  EE
 AEE     
DPCC      DPCC      Env. Deptt.   Member (Acd. Inst) (MSW) MSWM Cell

Lawrence Road CETP (12 MLD)
Consent status of CETP
· Consent to operate expired on 27-07-07. 
· Applied for renewal of consent on 14.12.2007. 
· CTR issued on 11.05.2010 and valid upto 13.12.2010.
· Authorization valid upto 26.01.07.
· Applied for renewal of authorization under HWM Rules on 06.12.07.

Decision of Consent Management Committee (Orange) wrt cases of MSW Cell dated 19.01.2010:

Issue letter for rectification of deficiencies observed during the inspection and monitoring of waste water and submission of Bank Guarantee as sought earlier.
Action Taken Report
3. A letter regarding rectification of deficiencies observed during the inspection and monitoring of waste water and submission of Bank Guarantee as sought earlier was issued on 18.02.2010. But no reply received so far.
4. A letter was issued on 16.02.10 regarding “Installation of TOC Analyzer/ BOD Biosensor at Lawrence Road CETP”.

CETP was inspected by team of DPCC officials on 26.03.2010 and observation made is as under: 
· Flow meter at inlet found non-operational.

· Ist equalization tank after the grit chamber is being used as a storage tank for two raw effluent.

· Out of two agitators in two equalization tanks only one agitation in second equalization tank is found operational.

· Cleaning of tube settlers is required. 
As per DPCC analysis report, parameters not complying with the prescribed norms during following months are as under:-

	December, 09
	
January, 10

	Inlet
	Outlet
	Inlet
	Outlet

	Non Functional
	TSS- 304

Cr (Total)- 4.02
	BOD-37

Cl- 1200

TDS- 4490


	February, 10

	Inlet
	Outlet

	TSS-284
	             BOD-44

           TDS-4820


All Values are in mg/l expect pH
Decision of Consent Management Committee (Orange) wrt cases of MSW Cell dated 20.04.2010:
Issue CTO(R). Also issue a letter for rectification of deficiencies observed during the inspection and indicating the parameters which are exceeding the prescribed limits during the monitoring except BOD and also ask the unit to submit fresh application for authorization under HWM Rules.

Action taken/ Status after the meeting held on 20.04.2010:

5. Consent to Operate (Renewal) under Air and water Acts issued on 11.05.2010. Letter Issued for rectification of deficiencies observed during the inspection and indicating the parameters which are exceeding the prescribed limits during the monitoring except BOD and also asking the unit to submit fresh application for authorization under HWM Rules on 28.05.2010.

6. DSIIDC has not submitted any reply regarding rectification of deficiencies so far.

7. Not applied for renewal of authorization under HWM Rules
8. A letter was received from DSIIDC regarding modification of CETP, for which they have engaged IIT Delhi. IIT-D has submitted a report for this, which was sent to DPCC along with the letter for the comments.

CETP was inspected by team of DPCC officials on 14.06.10 and observations made are as under: 
· The CETP found not in operation.

· Flow meter at inlet found non-operation 
As per DPCC analysis report, parameters not complying with the prescribed norms during following months are as under:-

	April
	
May, 10

	Inlet
	Outlet
	Inlet
	Outlet

	Non Functional
	TSS- 372
	BOD-38

Cl- 1320




	June,2010

	Inlet
	Outlet

	Non Functional



          All Values are in mg/l expect pH
Decision of Consent Management Committee (Orange) wrt cases of MSW Cell dated 09.08.2010:

Ask the unit to submit fresh application for authorization under HWM Rules. Send comments on IIT Delhi report, if required. 

Chairman
M. S.
      Member    Prof. S.K Gupta      SEE  EE
 AEE     
DPCC      DPCC      Env. Deptt.   Member (Acd. Inst) (MSW) MSWM Cell

Badli Industrial Estate CETP ( 12 MLD)
Consent status of CETP

· Consent to operate issued on 28.02.07 to CETP society for period of three years and valid upto 28.12.09. 

· Applied for Renewal of Consent on 30.11.2009.

· CTR issued on 07.05.2010 and valid upto 29.11.2012 
· Applied for Renewal of authorization under HWM Rules on 30.11.2009.

Decision of Consent Management Committee (Orange) wrt cases of MSW Cell dated 19.01.2010:

Issue letter for rectification of deficiencies observed during the inspection and monitoring of waste water and submission of Bank Guarantee as sought earlier.
Action Taken Report
7. A letter regarding rectification of deficiencies observed during the inspection and monitoring of waste water and submission of Bank Guarantee as sought earlier was issued on 18.02.10.
8. A letter was received from Badli Industrial estate CETP Society regarding “Maintenance of Conveyance System laid down in Badli Industrial Area” on 03.02.10.

9. A letter was issued on 16.02.10 regarding “Installation of TOC Analyzer/ BOD Biosensor at Badli Industrial Estate CETP”.

10. CETP submitted its reply to our letter issued on 18.02.10 stating that as mentioned in our letter in Para 2 regarding non compliance of certain parameters at inlet e.g TSS and Cr (Total), it is submitted that it depends upon effluent reaching the plant which also receives sewage water from the adjoining jhugies and other unauthorized adjoining colonies.

11. Regarding conveyance system, they stated that it is clogged at several places and is overflowing on the road and getting mixed with open drains for which they have been in correspondence with DJB to take necessary measures to clean the system at regular intervals and remove the blockage of the system. 

12. They also mentioned in letter that their TDS value has never crossed the prescribed norms except for one or two occasions. Further, there is no provision in the plant to control TDS and also requested to kindly withdraw the harsh penalty of imposing a bank guarantee.  

CETP was inspected by team of DPCC officials on 16.03.10 and observations made are as under: 
-  About 60% to 70% sludge is filled in equalization tank.

-  Out of two vacuum drum filters one is out of order.
As per DPCC analysis report, parameters not complying with the prescribed norms during following months are as under:-

	
December, 09
	
             January, 10


	Inlet
	Outlet
	Inlet
	Outlet

	TSS-1690         Cr(T)-3.1
	             -
	TSS-644

Cu-5.44


	Fluoride-2.45


	February,10

	Inlet
	Outlet

	TSS-488


	             TDS-2740


All Values are in mg/l expect pH
Decision of Consent Management Committee (Orange) wrt cases of MSW Cell dated 20.04.2010:
Issue CTO (R). Also issue letter for rectification of deficiencies observed during the inspection and monitoring of waste water and ask the unit to apply for authorization under HWM Rules, within 1 month.

Action taken/ Status after the meeting held on 20.04.2010:

8. Consent to Operate (Renewal) under Air and water Acts issued on 07.05.2010. Letter Issued for rectification of deficiencies observed during the inspection and monitoring of waste water and asking the unit to apply for authorization under HWM Rules, within 1 month on 26.05.2010.

9. CETP has submitted its reply wherein it is stating that as mentioned in our letter in Para 2 regarding non compliance of certain parameters at inlet e.g. TSS and Cr (Total), it is submitted that it depends upon effluent reaching the plant which also receives sewage water from the adjoining jhugies and other unauthorized adjoining colonies.

10. They also mentioned in letter that their TDS value has never crossed the prescribed norms except for one or two occasions. Further, there is no provision in the plant to control TDS.

11. With reference to the observation made by DPCC Officials during the inspection the society submitted that the sludge is lying in the Equalization Tank as not been removed for want of adequate storage facility for the same in the Plant. Society also wrote to DPCC requesting for the details of the site selected where the sludge can be transferred.

12. About vacuum filter they stated that it has been non-functional from the very beginning.

13. Society also mentioned in the letter that they have applied for authorization under HWM Rules on 30.11.2009. 

14. CETP has not submitted a fresh application for authorization under HWM, Rules.

CETP was inspected by team of DPCC officials on 17.06.10 and observations made are as under: 
· Flow meter at inlet found in operation. Meter reading is 387103 m3.

· The level of sludge in equalization tank has gone down in comparison to the level noticed in last visit, however noticeable quantity of sludge is yet to be removed.

· One vacuum filter drum found in operation.

· pH at inlet is 5.8

As per DPCC analysis report, parameters not complying with the prescribed norms during following months are as under:-

	April,2010
	May,2010

	Inlet
	Outlet
	Inlet
	Outlet

	TSS-2720        
	Meeting Standards

        
	
-
	Sulphide-3.6




	June,10

	Inlet
	Outlet

	TSS-288


	         Fluoride-2.7


All Values are in mg/l expect pH
Decision of Consent Management Committee (Orange) wrt cases of MSW Cell dated 09.08.2010:

Issue authorization (Renewal) under HWM Rules with the condition to submit fees for the same according to revised fee structure with in 15 days.

Chairman
M. S.
      Member    Prof. S.K Gupta      SEE  EE
 AEE     
DPCC      DPCC      Env. Deptt.   Member (Acd. Inst) (MSW) MSWM Cell

MAYAPURI CETP  (12 MLD)

Consent status of CETP

·  Consent to operate issued on 22.04.2010 valid upto 06.05.2010.
· Applied for renewal of consent to operate on 06.05.2010

· Re-applied for renewal of authorization under HMW Rules on 06.05.2010.

Decision of Consent Management Committee (Orange) wrt cases of MSW Cell dated 19.01.2010:

Issue letter for rectification of deficiencies observed during the inspection and monitoring of waste water and submission of Bank Guarantee as sought earlier.
Action Taken Report
8. A letter regarding rectification of deficiencies observed during the inspection and monitoring of waste water and submission of Bank Guarantee as sought earlier was issued on 17.02.10
9. A letter was issued on 16.02.10 regarding “Installation of TOC Analyzer/ BOD Biosensor at Mayapuri CETP”
10. Reply is submitted by CETP society regarding our letter dated 17.02.10 in which they have mention about non compliance of parameters with prescribed norms stating that CETP has been designed for inlet parameters such as TSS,TDS,BOD, pH, COD. Rest of all parameters has not been considered while designing the plant. The inlet parameters are not controllable as we have no means to change the characteristics of inlet effluent received in the CETP. Since the plant is designed for only 5 parameters the parameters other than these like Cl, Fl, oil and grease etc. will not be treated upto the desired outlet parameters laid by DPCC.

11.  Regarding TDS at the outlet it was decided that TDS is high due to extensive use of ground water. 

12. For deficiencies observed during inspection CETP society clarified that they have 2 vacuum filter units which they use alternatively as per the requirement. They also mention that de-silting of grit chamber is done regularly .As per their procedure for cleaning the grit chamber , one of the grit chamber is closed for 4-6 hrs while all the flow through the other. At the evening when the grit is dry it is evacuated in morning.

13. About sludge and scumming observed in equalization tank they stated that equalization tank has no underflow sludge valve, due to which cleaning of sludge deposited in the tank cannot be done. They also that all the mesh presents at different units are cleaned in every 2-3 hrs and the foaming in the final tank was observed due to turbulence created by the falling water.

14. CETP society also conveyed that imposing bank guarantee is not justified and thus requested to waving off of bank guarantee imposed on them. 

CETP was inspected by team of DPCC officials on 12.03.10 and observations made are as under: 

· Sludge present in equalization tank.

· Media replacement work is being undertaken in DMFs.

· Flow meter installed after equalization pump house found in operation

As per DPCC analysis report, parameters not complying with the prescribed norms during following months are as under:-

	December, 09
	
January,10

	Inlet
	Outlet
	Inlet
	Outlet

	-
	-
	TSS- 292


	Cl-1600

Fluoride-2.4


	February,10

	Inlet
	Outlet

	       TSS-408


	        TDS-2200


Decision of Consent Management Committee (Orange) wrt cases of MSW Cell dated 20.04.2010:
Issue CTO (R) without waiting for minutes. Also Issue letter for rectification of deficiencies observed during the inspection and monitoring of waste water and ask the unit to apply for authorization under HWM Rules, within 1 month.

Action taken/ Status after the meeting held on 20.04.2010:

5. Consent to Operate (Renewal) under Air and water Acts issued on 22.04.2010 valid upto 06.05.2010. Letter Issued for rectification of deficiencies observed during the inspection and monitoring of waste water and asking the unit to apply for authorization under HWM Rules, within 1 month on 02.06.2010.

6. Applied for renewal of consent to operate on 06.05.2010

7. Re-applied for renewal of authorization under HMW Rules on 06.05.2010
8. However no reply has been received regarding the rectification of deficiencies so far.

CETP was inspected by team of DPCC officials on 11.06.10 and observations made are as under: 
· Flow meter installed after equalization pump house found in operation. Meter reading – 5721752

· The equalization tank no.1 has been completely de-silted. The painting and maintenance of agitators is in process.

· The work of media replacement in DMF’s is going on.
As per DPCC analysis report, parameters not complying with the prescribed norms during following months are as under:-

	April, 09
	
May,10

	Inlet
	Outlet
	Inlet
	Outlet

	TSS-252
	BOD-36

Cl-1400

Fluoride-3
	TSS- 830


	Meeting Standards


	June,2010

	Inlet
	Outlet

	TSS-424
	Meeting Standards




 All Values are in mg/l expect pH
Decision of Consent Management Committee (Orange) wrt cases of MSW Cell dated 09.08.2010:

Issue CTO (R) and renewal of authorization under HWM Rules. 

Chairman
M. S.
      Member    Prof. S.K Gupta      SEE  EE
 AEE     
DPCC      DPCC      Env. Deptt.   Member (Acd. Inst) (MSW) MSWM Cell

MANGOL PURI CETP (2.4 MLD)

Consent status of CETP

· Consent to operate issued on 27.07.2007 and valid upto 04.02.2010.

· Applied for renewal of consent to operate on 29.06.2010.

· Authorization under HMW Rules issued on 27.01.05 valid upto 26.01.07
·  Not required renewal of authorization under HMW Rules being a biological CETP.
Decision of Consent Management Committee (Orange) wrt cases of MSW Cell dated 19.01.2010:

Issue letter for rectification of deficiencies observed during the inspection and monitoring of waste water and submission of Bank Guarantee as sought earlier.

Action Taken Report

6. A letter regarding rectification of deficiencies observed during the inspection and monitoring of waste water and submission of Bank Guarantee as sought earlier was issued on 18.02.10

7. A letter was issued on 16.02.10 regarding “Installation of TOC Analyzer/ BOD Biosensor at Mangolpuri CETP”.

8. CETP submitted its reply regarding deficiencies observed in monthly monitoring stating that technical committee is looking after the proper functioning of the plant and the parameters Cl and TDS which are found to be exceeding permissible limits are not within their control as plant is not designed to control aforesaid parameters. DPCC’s suggestion for regular cleaning of scum in Aeration Holding Tank is being looked after and all necessary precaution shall be taken. 

9. CETP submitted its reply regarding Installation of TOC Analyzer (s) on 08.03.2010 stating that the matter is being looked after for necessary compliance, and the compliance report will be intimated to DPCC in near future.

10. A letter issued by CETP society on 5.03.2010 stated that DPCC’s request for deposition of Bank Guarantee has been discussed and considered, Managing Committee is of opinion that the problems cannot be solve through such deposits.

CETP was inspected by team of DPCC officials on 26.03.10 and observations made are as under:

· Flow meter is installed at Primary Clarifier found in operation. 

· No proper arrangements for sludge removal from sludge thickener.

· 3 DMFs and 2 ACFs found in operation.
As per DPCC analysis report, parameters not complying with the prescribed norms during following months are as under:-

	

December, 09
	
January,10

	Inlet
	Outlet
	Inlet
	Outlet

	TSS-512
	       TDS-5100


	TSS-384

Cu-3.1
	Cl-2700

TDS-5280


	February,10

	Inlet
	Outlet

	TSS-404
	         TDS-5620

            Cl-2150




All Values are in mg/l expect pH
Decision of Consent Management Committee (Orange) wrt cases of MSW Cell dated 20.04.2010
Issue letter for rectification of deficiencies observed during the inspection and monitoring of waste water and ask the unit to apply for CTO(R) under Air and Water Acts, within 1 month.

Action taken/ Status after the meeting held on 20.04.2010:

4. Letter Issued for rectification of deficiencies observed during the inspection and monitoring of waste water and asking the unit to apply for Consent to Operate (Renewal) under Air and Water Acts, within 1 month on 02.06.2010.

5. However no reply has been received regarding rectification of deficiencies so far.

6. Applied for renewal of consent to operate on 29.06.2010.
CETP was inspected by team of DPCC officials on 16.06.2010 and observations made are as under: 
· Flow meter installed at Primary Clarifier found in operation. Meter reading 149982 m3.
· Out of four agitators in aeration tanks three are in operation, one is under maintenance. 
· No proper arrangement for sludge solidification the work of installation of sludge drier system is under progress.

·  Cleaning is required in final treatment water holding tank.
As per DPCC analysis report, parameters not complying with the prescribed norms during following months are as under:-

	April,2010
	May,2010

	Inlet
	Outlet
	Inlet
	Outlet

	   TSS-304     
	TSS-106

BOD-35

Cl-7000          
	TSS-284
	Cl-12700




	June,2010

	Inlet
	Outlet

	-
	        Cl-4148




          

All Values are in mg/l expect pH
Decision of Consent Management Committee (Orange) wrt cases of MSW Cell dated 09.08.2010:

Issue CTO (R) and put up file with in 30 days regarding applicability of authorization under HWM Rules, as the treatment scheme is biological. 

Chairman
M. S.
      Member    Prof. S.K Gupta      SEE  EE
 AEE     
DPCC      DPCC      Env. Deptt.   Member (Acd. Inst) (MSW) MSWM Cel
Wazirpur Indl Area CETP ( 24 MLD)
Consent status of CETP

· Consent to operate issued on 23.02.07 and valid up 27.12.09. 

· Applied for renewal of consent to operate on 12.07.2010

· Applied for renewal of authorization under HMW Rules on 15.11.06. 

Decision of Consent Management Committee (Orange) wrt cases of MSW Cell dated 19.01.2010:

Issue letter for rectification of deficiencies observed during the inspection and monitoring of waste water and submission of Bank Guarantee as sought earlier.
Action Taken Report
5. A letter regarding rectification of deficiencies observed during the inspection and monitoring of waste water and submission of Bank Guarantee as sought earlier was issued on 17.02.10. 
6. However no reply received so far.
7. A letter was issued on 16.02.10 regarding “Installation of TOC Analyzer/ BOD Biosensor at Wazirpur Indl. Area CETP”
8. CETP society replied to our letter issued on 16.02.10 regarding Installation of TOC Analyzer/ BOD Biosensor stating that they are discharging treated effluent to water body through a guard tank after proper homogenization and hence instrument may not be of any significance.

CETP was inspected by team of DPCC officials on 18.12.09 and observations made are as under:
· Flow meter at inlet of CETP (before receiving chamber) found non operational.

· Equalization tank is filled with significant quantity of sludge / silt.
· Vacuum drum filter is under with maintenance.

As per DPCC analysis report, parameters not complying with the prescribed norms during following months are as under:-

	December, 09
	
January, 10

	Inlet
	Outlet
	Inlet
	Outlet

	TSS-412         

Cr (T)-52.2

Ni-15

Cu-25.4
	       TDS-5090

Sulphide- 3.8
	Non Functional


	February,10

	Inlet
	Outlet

	TSS-484     

Ni-47.5

Cu-35.5
	       TDS-4030




All Values are in mg/l expect pH
Decision of Consent Management Committee (Orange) wrt cases of MSW Cell dated 20.04.2010:
Issue letter for rectification of deficiencies observed during the inspection and monitoring of waste water and ask the unit to apply for CTO (R) under Air and Water Acts and Authorization under HWM Rules, within 1 month.

Action taken/ Status after the meeting held on 20.04.2010:

7. Letter Issued for rectification of deficiencies observed during the inspection and monitoring of waste water and asking the unit to apply for Consent To Operate (Renewal) under Air and Water Acts and Authorization under HWM Rules, within 1 month on 02.06.2010.

8. Applied for renewal of consent to operate on 12.07.2010

9. Not re-applied for renewal of authorization under HMW. 
10. CETP has not submitted its reply regarding rectification of deficiencies.
11. A copy of letter addressed to Sh. Sharat Kumar regarding non-operation of sewage pumping station, dated 05.06.2010 was sent to DPCC by EE in which they have mentioned that during their inspection to SPS, it was found that pumps of SPS were non operational and penstock gate of incoming sever found closed resulting in surcharged condition of sewersin whole Wazirpur Industrial Area. When they have inspected CETP it was also found non operational due to silting in settling tank. EE has requested to enforce regular pumping to keep levels to the minimum to avoid surcharging of sewers.

12. A letter from CETP Society dated 2.07.2010 was issued to DPCC, in letter they have mentioned that CETP was granted authorization only for storage of Sludge within premises and it has not been transported since the commissioning of the plant in 2005, resulting in collapse of the storage society. Since the responsibility of transportation, storage and disposal was entrusted on DPCC, CETP Society requested DPCC to make arrangements for proper disposal of waste.
CETP was inspected by team of DPCC officials on 14.06.2010  and observations made are as under: 
· Flow meter at inlet of CETP (before receiving chamber) found in operation.

· Equalization tank is filled with significant quantity of sludge / silt.
· Vacuum drum filter found in operation.
As per DPCC analysis report, parameters not complying with the prescribed norms during following months are as under:-

	April,2010
	May,2010

	Inlet
	Outlet
	Inlet
	Outlet

	pH-2.7

TSS-628        
	Sulphide-4.3          
	pH-2.53
	TSS-154

BOD-37

Sulphide-10.5




         

	June,10

	Inlet
	Outlet

	pH-1.9

TSS-408
	Meeting the standards except TDS




All Values are in mg/l expect pH
Decision of Consent Management Committee (Orange) wrt cases of MSW Cell dated 09.08.2010:

Issue CTO (R) and renewal of authorization under HWM Rules. 

Chairman
M. S.
      Member    Prof. S.K Gupta      SEE  EE
 AEE     
DPCC      DPCC      Env. Deptt.   Member (Acd. Inst) (MSW) MSWM Cell


DSIDC Nangloi & Udyog Nagar Indl Area CETP ( 12 MLD)
Consent status of CETP
· Applied for consent to operate on 27.06.2007.

· Consent to operate was issued on 03.06.2010 and valid upto 26.06.2010

· Applied for renewal of consent on 08.06.2010
· Applied for renewal of authorization under HWM Rules on 11.06.2010.
Decision of Consent Management Committee (Orange) wrt cases of MSW Cell dated 19.01.2010:

Issue letter for rectification of deficiencies observed during the inspection and monitoring of waste water and submission of Bank Guarantee as sought earlier.

Action Taken Report
5. A letter regarding rectification of deficiencies observed during the inspection and monitoring of waste water and submission of Bank Guarantee as sought earlier was issued on 18.02.10.
6. A letter was issued on 16.02.10 regarding “Installation of TOC Analyzer/ BOD Biosensor at DSIIDC & Udyog Nagar Indl Area CETP”
7. A reply letter was received issued by CETP Society  regarding our letter issued on 18.02.10 stating that parameters like TDS, Chlorine, etc neither can be treated nor be eliminated from the effluent as the plant is not designed to treat these parameters. There is no process in CETP to control TDS and have also requested to wave the bank guarantee and issue consent to the plant. 

8. In reply to our letter issued on 16.02.10 CETP society requested DPCC to provide them reliable sources with detailed information of TOC Analyzer(s) enabling them to install the same at CETP.

CETP was inspected by team of DPCC officials on 26.03.2010 and observations made are as under: 
· Two flow meters (one for Udyog nagar and one for DSIIDC shed) found in operation.
· Replacement of filter cloth in one vacuum drums filter is required.
· Out of 9 DMFs & 6 ACFs, 4 DMFs and 3 ACFs are being used for one cycle and others are being used as standby.

As per DPCC analysis report, parameters not complying with the prescribed norms during following months are as under:-

	December, 09
	
January, 10

	Inlet
	Outlet
	Inlet
	Outlet

	TSS-464         
	          TDS-2350

Fluoride- 2.4
	TSS-332


	Cl-1800

TDS- 3460

Fluoride- 2.45


	

February, 10

	Inlet
	Outlet

	TSS-896       
	            Cl- 2400

        TDS-4750


All Values are in mg/l expect pH
Decision of Consent Management Committee (Orange) wrt cases of MSW Cell dated 20.04.2010:

Issue CTO (R). Also Issue letter for rectification of deficiencies observed during the inspection and monitoring of waste water and ask the unit to apply for authorization under HWM Rules, within 1 month.

Action taken/ Status after the meeting held on 20.04.2010:

6. Consent to Operate (Renewal) under Air and Water Acts issued on 03.06.2010. Letter Issued for rectification of deficiencies observed during the inspection and monitoring of waste water and ask the unit to apply for authorization under HWM Rules, within 1 month on 02.06.2010.

7. In response to our letter CETP Society has submitted its reply dated 14.06.2010 where in it is stating that the parameters of effluent at inlet are beyond their control as inlet of CETP is connected with DJB conveyance system.

8. They have also mentioned that plant has not been designed to control TDS & Cl and have rectified the deficiencies observed during the inspection and had already applied for Authorization under HWM Rules on 11.06.2010.

9. Applied for renewal of consent on 08.06.2010

10. Applied for renewal of authorization under HWM Rules on 11.06.2010.
CETP was inspected by team of DPCC officials on 16.06.2010 and observations made are as under: 
· Two flow meter one for Udyog  Nagar and another for DSIDC shed found in operation

· Filter cloth in one drum is yet to be replaced.

· The work of replacement of media in DMF’s and ACF’s is under progress.

· Cleaning is required in pre-chlorination tank.

As per DPCC analysis report, parameters not complying with the prescribed norms during following months are as under:-

	April,2010
	May,2010

	Inlet
	Outlet
	Inlet
	Outlet

	TSS-360        
	BOD-33

Cl-3900          
	TSS-7580

Cu-4.62
	BOD-44

Cl-10100




	

June, 10

	Inlet
	Outlet

	-   
	            Cl- 2399

        


All Values are in mg/l expect pH
Decision of Consent Management Committee (Orange) wrt cases of MSW Cell dated 09.08.2010:

Issue CTO (R) and renewal of authorization under HWM Rules. 

Chairman
M. S.
      Member    Prof. S.K Gupta      SEE  EE
 AEE     
DPCC      DPCC      Env. Deptt.   Member (Acd. Inst) (MSW) MSWM Cell


SMA Indl Area CETP ( 12 MLD)
Consent status of CETP

· Consent to operate issued on 15.09.04 and valid up 27.07.07. 
· Applied for Renewal of Consent on 02.07.2010 

· Applied for renewal of authorization under HWM Rules on 02.07.2010.

Decision of Consent Management Committee (Orange) wrt cases of MSW Cell dated 19.01.2010:

Issue letter for rectification of deficiencies observed during the inspection and monitoring of waste water and submission of Bank Guarantee as sought earlier.

Action Taken Report
3. A letter rectification of deficiencies observed during the inspection and monitoring of waste water and submission of Bank Guarantee as sought earlier was issued on 17.02.10. However no reply has received so far.
4. A letter was issued on 16.02.10 regarding “Installation of TOC Analyzer/ BOD Biosensor at SMA Indl Area CETP”.
CETP was inspected by team of DPCC officials on 16.03.10 and observation made is as under: 
· Flow meter at inlet found operational.

· Plastic drunks have been provided for collection of silt near grit chamber. 

As per DPCC analysis report, parameters not complying with the prescribed norms during following months are as under:-

	December, 09
	
January, 10

	Inlet
	Outlet
	Inlet
	Outlet

	TSS-704  
Nickel-5.46  
Cr(T)-22.4

Oil & Grease- 22.4
	         TDS-3240


	TSS- 284

Cr (Total)-4.45
	         Cl-1400

Fluoride-2.3


	 

February, 10

	Inlet
	Outlet

	TSS-372  

	         TDS-2760

      Cl-1080



Decision of Consent Management Committee (Orange) wrt cases of MSW Cell dated 20.04.2010:
Issue letter for rectification of deficiencies observed during the inspection and monitoring of waste water and ask the unit to apply for CTO(R) under Air and Water Acts and Authorization under HWM Rules, within 30 days.

Action taken/ Status after the meeting held on 20.04.2010:

7. Letter Issued for rectification of deficiencies observed during the inspection and monitoring of waste water and asking the unit to apply for Consent to Operate (Renewal) under Air and Water Acts and authorization under HWM Rules, within 30 days on 02.06.2010.

8. Applied for Renewal of Consent on 02.07.2010 
9. Applied for renewal of authorization under HWM Rules on 02.07.2010
10. However, CETP has not submitted its reply regarding the rectification of deficiencies so far.

CETP was inspected by team of DPCC officials on 14.06.2010 and observations made are as under: 
· Removal of scumming is required in tube settler.
As per DPCC analysis report, parameters not complying with the prescribed norms during following months are as under:-

	April,2010
	May,2010

	Inlet
	Outlet
	Inlet
	Outlet

	TSS - 1010        
	Cl – 1620

          
	TSS-512
	BOD- 35 

Cl- 1815

Sulphide – 4.8


	

June, 10

	Inlet
	Outlet

	TSS-340  

	   BOD-35      

      


         

 All Values are in mg/l expect pH
Decision of Consent Management Committee (Orange) wrt cases of MSW Cell dated  09.08.2010:

Issue CTO (R) and renewal of authorization under HWM Rules , subject to  condition that the BOD level is within limit . 

Chairman
M. S.
      Member    Prof. S.K Gupta      SEE  EE
 AEE     
DPCC      DPCC      Env. Deptt.   Member (Acd. Inst) (MSW) MSWM Cell

                                         OKHLA CETP  (24 MLD)
Consent status of CETP

· Applied for Consent to Operate on 28.07.04. Consent to operate issued on 15.09.2004 and valid up 27.07.07. 
· Applied for renewal of consent on 13-02-07.
· Not re- applied for renewal of consent.
· Not re-applied for renewal of authorization under HMW Rules. 
Decision of Consent Management Committee (Orange) wrt cases of MSW Cell dated 19.01.2010:

Issue letter for rectification of deficiencies observed during the inspection and monitoring of waste water and submission of Bank Guarantee as sought earlier. Also, inform the CETP Society that the sludge generated from the plant is to be treated as hazardous waste as per the notification/Rules of MoEF, GOI.
Action Taken Report
4. A letter regarding rectification of deficiencies observed during the inspection and monitoring of waste water and submission of Bank Guarantee as sought earlier. Also, inform the CETP Society that the sludge generated from the plant is to be treated as hazardous waste as per the notification/Rules of MoEF, GOI was issued on 22.02.10. However no reply has been received so far.
5. As decided in DPCC meeting held on 9.12.2009, a letter for installation of TOC Analyzer(s) or BOD Biosensor(s) at Okhla Indl. Area CETP was issued on 16.02.10

6. In response to our letter dated on 16.02.10 CETP has submitted a copy of letter addressed to Chief Project Manager (E&M), DSIIDC stating that since the DSIIDC has constructed the CETP it is requested that they should only take necessary action.

CETP was inspected by team of DPCC officials on 12.03.2010 and observations made are as under: 
· Two flow meter found at intake but with totaliser.

· There are two aerators in equalization tank out of which one is out of order.
· There are 24 DP gauges installed with DMFS out of 24 gauges 18are out of order.
· There are 15 ACFS all are not in operation and effluent is being by passed.
As per DPCC analysis report, parameters not complying with the prescribed norms during following months are as under:-

	                   December, 09
	
January, 10

	Inlet
	Outlet
	Inlet
	Outlet

	TSS-320      
  
	BOD-42                  TDS-2030


	TSS-280
	BOD-33


	                   February, 10

	Inlet
	Outlet

	TSS-388
	BOD-38           


    All Values are in mg/l expect pH
Decision of Consent Management Committee (Orange) wrt cases of MSW Cell dated 20.04.2010:

Issue letter for rectification of deficiencies observed during the inspection and monitoring of waste water and ask the unit to apply for CTO(R) under Air and Water Acts and Authorization under HWM Rules, within 1 month.

Action taken/ Status after the meeting held on 20.04.2010:

5. Letter Issued for rectification of deficiencies observed during the inspection and monitoring of waste water and asking the unit to apply for Consent to Operate (Renewal) under Air and Water Acts and authorization under HWM Rules, within 1 month on 04.06.2010. 

6. Not re- applied for renewal of consent.

7. Not re-applied for renewal of authorization under HMW Rules.
8. However, CETP has not submitted its reply regarding rectification of deficiencies.
CETP was inspected by team of DPCC officials on 10.06.2010 and observations made are as under: 

· There are two equalization tanks with two agitators.  Out of which one is used as standby. Both the aerators found in operation, in one equalization tank.

· The 18 DP gauges installed with DMF’s are yet to be installed.

· The treated waste water is being directly discharged to drain after passing through DMF’s only.

· Two flow meters found at intake.

As per DPCC analysis report, parameters not complying with the prescribed norms during following months are as under:-

	April,2010
	May,2010

	Inlet
	Outlet
	Inlet
	Outlet

	     TSS-476   
	 BOD-37

Fluoride-2.4         
	TSS-296
	Cl-1680




	June, 10

	Inlet
	Outlet

	             -
	        BOD-34           


          All Values are in mg/l expect pH
Decision of Consent Management Committee (Orange) wrt cases of MSW Cell dated 09.08.2010:

Issue reminder for renewal of consent under Air and Water Acts and Authorization under HWM Rules, within 1 month.
Chairman
M. S.
      Member    Prof. S.K Gupta      SEE  EE
 AEE     
DPCC      DPCC      Env. Deptt.   Member (Acd. Inst) (MSW) MSWM Cell

                                              NARELA CETP (22  MLD)
Consent status of CETP
· Consent to establish granted on 20.01.04 for a period one year. Applied for consent to operate on 03.03.06. 
· Not re-applied for Renewal of Consent.
· Not re-applied for authorization under HMW Rules. 
Decision of Consent Management Committee (Orange) wrt cases of MSW Cell dated 19.01.2010:
Issue letter for rectification of deficiencies observed during the inspection and monitoring of waste water and submission of Bank Guarantee as sought earlier.

Action Taken Report
3. A letter regarding rectification of deficiencies observed during the inspection and monitoring of waste water and submission of Bank Guarantee as sought earlier was issued on 17.02.10. However no reply has received so far.
4. A letter was issued on 16.02.10 regarding “Installation of TOC Analyzer/ BOD Biosensor at Narela CETP”
CETP was inspected by team of DPCC officials on 31.03.10 and observations made are as under: 
- Flow meter installed near Raw Effluent Pumping Station is found non        operational. 

- All the 16 sludge drying beds are fully occupied and there is no further space for disposal of sludge.

- Treated water from clarifier is being by passed to the post chlorination tank as DMFs and ACFs are not working due to non availability of media. 

- No arrangement is made for proper disposal of slit from grit chamber. 
As per DPCC analysis report, parameters not complying with the prescribed norms during following months are as under:-

	

December, 09
	
January,10

	Inlet
	Outlet
	Inlet
	Outlet

	Zinc-20.4


	BOD-33

Cl-1800
	TSS- 272


	TSS-108

BOD-34

Fluoride-2.9


	Feburary,10

	Inlet
	Outlet

	TSS-372
	BOD-44

Cl-2350

TDS-5160

Fluoride-2.4


All Values are in mg/l expect pH
Decision of Consent Management Committee (Orange) wrt cases of MSW Cell dated 20.04.2010:
Issue letter for rectification of deficiencies observed during the inspection and monitoring of waste water and ask the unit to apply for CTO(R) under Air and Water Acts and Authorization under HWM Rules, within 1 month.


Action taken/ Status after the meeting held on 20.04.2010:

5. Letter Issued for rectification of deficiencies observed during the inspection and monitoring of waste water and asking the unit to apply for Consent to Operate (Renewal) under Air and Water Acts and authorization under HWM Rules, within 1 month on 04.06.2010.

6. In response to our letter DSIIDC, has submitted a letter wherein it is stating that CETP has been handed over to CETP Society in January and has  requested that issues raised in our letter dated 04.06.10 will be taken up with CETP Society Narela. 

7. Not re-applied for Renewal of Consent.

8. Not re-applied for authorization under HMW Rules. 

CETP was inspected by team of DPCC officials on 29.06.2010 and observations made are as under: 
· Flow meter installed near REPS is found not in operation.

· No proper disposal arrangements for silt generated in grit chamber.

· The sludge generated from tube settler and clarifier is disposed off in 16 nos sludge drying beds and all the sludge drying beds have fully occupied.

· The treated wastewater from tube settler and clarifier is being by passed to the post chlorination tank as DMF’s and ACF’s are not working due t non-availability of media.

As per DPCC analysis report, parameters not complying with the prescribed norms during following months are as under:-

	April,2010
	May,2010

	Inlet
	Outlet
	Inlet
	Outlet

	 TSS-328       
	TSS-112

BOD-52

Fluoride-4.5          
	-
	          TSS-112

           BOD-43

         Sulphide-3.6


	June,10

	Inlet
	Outlet

	-
	TSS-122

BOD-40


  

All Values are in mg/l expect pH
Decision of Consent Management Committee (Orange) wrt cases of MSW Cell dated 09.08.2010:

Issue letter seeking application for renewal of consent under Air and Water Acts and Authorization under HWM Rules, within 1 month to Narela CETP Society .

Chairman
M. S.
      Member    Prof. S.K Gupta      SEE  EE
 AEE     
DPCC      DPCC      Env. Deptt.   Member (Acd. Inst) (MSW) MSWM Cell

Udyog Vihar (Bawana) Industrial Area CETP ( 35 MLD)
Consent status of CETP

· Applied for Consent to Establish on 05.08.02. Consent to Establish was granted on 20.01.2004 for a period of one year.
· CETP has submitted an incomplete application for consent to operate without consent fee by speed post on 04.05.2010. 

Decision of Consent Management Committee (Orange) wrt cases of MSW Cell dated 19.01.2010:

Ask the DSIIDC to apply for Consent to Operate and confirm the date of start of operation of CETP so that it will be considered for granting CTO.

Action Taken Report
2. A letter asking to apply for Consent to Operate and confirm the date of start of operation of CETP so that it will be considered for granting CTO was issued on 22.02.10. However no reply has received so far.
Decision of Consent Management Committee (Orange) wrt cases of MSW Cell dated 20.04.2010:
Expedite the inspection and if required issue reminder letter to DSIIDC to apply for Consent to Operate and confirm the date of start of operation of CETP so that it will be considered for granting CTO.
Action taken/ Status after the meeting held on 20.04.2010:

4. Unit was inspected on 17.06.2010 and found not in operation. However, at present the received effluent in receiving chamber is being discharged directly into drain.

5. CETP has submitted an incomplete application for consent to operate without consent fee by speed post on 04.05.2010.
6. As directed a letter for consent fee and other deficiencies has been issued to DSIIDC on 19.07.2010. No reply has been received so far. 

Decision of Consent Management Committee (Orange) wrt cases of MSW Cell dated 09.08.2010:

Put up issue of revised consent fees, wrt CETPs and STPs, in next DPCC meeting. Issue letter to DSIIDC seeking all the documents missing while submitting earlier application.

Chairman
M. S.
      Member    Prof. S.K Gupta      SEE  EE
 AEE     
DPCC      DPCC      Env. Deptt.   Member (Acd. Inst) (MSW) MSWM Cell


Najafgarh Road Industrial area, CETP ( 9.6 MLD)
Consent status of CETP

· DSIDC has submitted a letter dated 03.08.2007 in respect of DO letter 17.07.2007, that the EPCA has already directed not to go for further construction in view of spare capacity in other functional CETPs. As regards settling the dispute with the contractor, DSIDC looking into it as per the terms of the contract separately.

· DSIDC applied for Consent to Establish on 03-07-02.

· Letter issued by DPCC on 17-02-04 seeking clarification w.r.t treatment capacity.

· EPCA, in its meeting 10-06-06, asked DPCC to examine the necessity of the CETP.

· Committee has been constituted under the Chairmanship of Dr. B.K Guha.

· Work of estimation of quantity and quality of effluents generated in catchment area of all CETPs awarded to Shriram Institute.

· Report submitted by Shriram Institute.

Report was examined by Dr. B.K Guha Committee and recommended that this area should have separate CETP, since there is no surplus capacity in the CETP in the nearby vicinity.
Decision of Consent Management Committee (MSW) in its meeting dated 12.05.2009:

Member Secsretary to write to new MD, DSIIDC to expedite the work of completion of CETP.

Action Taken Report

 A letter regarding Status as well as expected date for completion of CETPs was issued on 02.06.09.

DSIIDC has submitted a letter dated 01.06.09 wherein it has been informed that the constructional work of CETP has been awarded to M/S J.V. Associates in July-2002 but they abandoned in Oct., 2003 due to strong opposition by locals. Only 10 to 12 percent work has been carried out at site by the contractor before abandoning the work. No further work is being carried out in this CETP. DSIIDC has filed a case for recovery of the paid amount form the contractor. 

Further, the issue of construction of CETP Najafgarh Road was placed before the 226th meetings of the Board of Directors of DSIIDC held on 08.05.09 and it was desired by Board of Directors that DPPC should be requested to take up the matter with Commissioner of Industries regarding settlement of local protest, appropriateness of CETP and release of funds for the construction of CETP Najafgarh. 

Decision of Consent Management Committee (Orange) wrt cases of MSW Cell dated 19.01.2010:

Member Secretary to call a meeting with DSIIDC to expedite the work of completion of CETP.

Action Taken Report
2. Member Secretary, DPCC has convened a meeting on 26.02.2010 with     Sh. Sharad Kumar (Chief Plant Manager, DSIIDC) and minutes of meeting has been sent to DSIIDC for further necessary action. However no action taken report has been received so far.

Decision of Consent Management Committee (Orange) wrt cases of MSW Cell dated 20.0410:

Issue D.O. letter to COI from MS, DPCC, with a copy to MD, DSIIDC. 


Action taken/ Status after the meeting held on 20.04.2010:

4. D.O. letter to COI from MS, DPCC, with a copy to MD, DSIIDC, issued on 04.06.2010.

5. In response to our letter DSIIDC has submitted its reply stating that Industries Department has already assigned the study to Shri Ram Institute for Industrial Research. The detailed study report is still awaited from them.

6. In response to our letter, COI has not submitted any reply. 

Decision of Consent Management Committee (Orange) wrt cases of MSW Cell dated 09.08.2010:

Wait for study report.

Chairman
M. S.
      Member    Prof. S.K Gupta      SEE  EE
 AEE     
DPCC      DPCC      Env. Deptt.   Member (Acd. Inst) (MSW) MSWM Cell

Naraina Industrial Area, CETP ( 21.6 MLD)

Consent status of CETP

· DSIDC applied for Consent to Establish on 02-07-02.

· Letter issued by DPCC on 17-02-04 seeking clarification w.r.t treatment capacity.

·  EPCA, in its meeting 10-06-06, asked DPCC to examine the necessity of the CETP.

· Committee has been constituted under the Chairmanship of Dr. B.K Guha.

· Work of estimation of quantity and quality of effluents generated in catchment area of all CETPs awarded to Shriram Institute.

· Report submitted by Shriram Institute.

· Report was examined by Dr. B.K Guha Committee and it was appraised by the representative of DSIDC that CETP is under installation and it is at final stage of construction and after commissioning of the same may be handed over to CETP Society of the area. 
· CETP has submitted an incomplete application for consent to operate without consent fee by speed post on 04.05.2010. 

Decision of Consent Management Committee (MSW) in its meeting dated 12.05.2009:

Ask the DSIIDC to apply for Consent to Operate and confirm the date of start of operation of CETP.

Action Taken Report

A letter was issued on.28.05.09.

However no reply received.

Decision of Consent Management Committee (Orange) wrt cases of MSW Cell dated 19.01.2010:

Issue reminder to DSIIDC to apply for Consent to Operate and confirm the date of start of operation of CETP.

Action Taken Report
2. A letter asking to apply for Consent to Operate and confirm the date of start of operation of CETP was issued on 22.02.10.
Decision of Consent Management Committee (Orange) wrt cases of MSW Cell dated 20.0410:

Expedite the inspection and if required issue reminder letter to DSIIDC to apply for Consent to Operate and confirm the date of start of operation of CETP so that it will be considered for granting CTO. 

Action taken/ Status after the meeting held on 20.04.2010:

4. Unit was inspected on 11.06.2010 and During the inspection it was informed that CETP is operating on trial run. However, following observations were made:

· As per record available in log book of pump house and record keeping register of CETP sludge the CETP is being operated since 15.12.2009

· Flow meter has installed at effluent transfer pump house. Meter reading- 387995

· There are two equalization tanks with two aerators in each task. One aerator in IInd equalization found non-operational.

· There are two flocculators, but both were found non-operational.  

· There are two sludge lifting pumps in sludge holding tanks but both were found out of order.

· Sludge thickener found not in operation. 

· There are two vacuum filter drums but both are not found in operation.   

· Post chlorination in final treat wastewater is not being done.

· The treated waste water is being passed through 22 DMF’s only. The 14 ACF’s are not being used at present.

· Foaming is observed in final treated effluent.

5. CETP has submitted an incomplete application for consent to operate without consent fee by speed post on 04.05.2010.
6. As directed a letter for consent fee and other deficiencies has been issued to DSIIDC on 19.07.2010. No reply has been received so far. 

Decision of Consent Management Committee (Orange) wrt cases of MSW Cell dated 09.08.2010:

Put up issue of revised consent fees, wrt CETPs and STPs, in next DPCC meeting. Issue letter to DSIIDC seeking all the documents missing while submitting earlier application. Also, ask DSIIDC for rectification of deficiencies observed during the inspection.

Chairman
M. S.
      Member    Prof. S.K Gupta      SEE  EE
 AEE     

DPCC      DPCC      Env. Deptt.   Member (Acd. Inst) (MSW) MSWM Cell

Okhla Industrial Estate CETP ( 1.2 MLD)
Consent status of CETP

· DSIDC applied for Consent to Establish on 06-07-02.

· Letter issued by DPCC on 17-02-04 seeking clarification w.r.t treatment capacity.

· EPCA, in its meeting 10-06-06, asked DPCC to examine the necessity of the CETP.

· Committee has been constituted under the Chairmanship of Dr. B.K Guha.

· Work of estimation of quantity and quality of effluents generated in catchment area of all CETPs awarded to Shriram Institute.

· Report submitted by Shriram Institute.

     Report was examined by Dr. B.K Guha Committee and recommended      that an independent CETP may be installed for this industrial area
Decision of Consent Management Committee (MSW) in its meeting dated 12.05.2009:

No Action.
Decision of Consent Management Committee (Orange) wrt cases of MSW Cell dated 19.01.2010:

No action.

Decision of Consent Management Committee (Orange) wrt cases of MSW Cell dated 20.04.10:

No Action.
Decision of Consent Management Committee (Orange) wrt cases of MSW Cell dated 09.08.2010:

No Action
Chairman
M. S.
      Member    Prof. S.K Gupta      SEE  EE
 AEE     
DPCC      DPCC      Env. Deptt.   Member (Acd. Inst) (MSW) MSWM Cell

Anand Parbat CETP ( 24 MLD)

Consent status of CETP

· DSIDC applied for Consent to Establish on 05.08.02.

· EPCA, in its meeting 10-06-06, asked DPCC to examine the necessity of the CETP. 

· Committee has been constituted under the Chairmanship of Dr. B.K Guha.

· Work of estimation of quantity and quality of effluents generated in catchment area of all CETPs awarded to Shriram Institute.

· Report submitted by Shriram Institute.

· Report was examined by Dr. B.K Guha Committee and recommended that an independent CETP may be installed for this industrial area.

Decision of Consent Management Committee (MSW) in its meeting dated 12.05.2009
No Action.

Decision of Consent Management Committee (Orange) wrt cases of MSW Cell dated 19.01.2010:

No action.

Decision of Consent Management Committee (Orange) wrt cases of MSW Cell dated 20.04.10:

No Action.

Decision of Consent Management Committee (Orange) wrt cases of MSW Cell dated 09.08.2010:

No Action
Chairman
M. S.
      Member    Prof. S.K Gupta      SEE  EE
 AEE     
DPCC      DPCC      Env. Deptt.   Member (Acd. Inst) (MSW) MSWM Cell

                                                                                                                                                                                                                                                                                                         Agenda 5
Badarpur Thermal Power Station
Status of Consent: Consent issued on 27.07.2007 and valid up to 21.03.2010.
                                 Consent was issued on 11-05-2010 and is valid up to 16-02-2013.
Decision of Consent Management Committee (Orange) wrt cases of MSW Cell dated 19.01.2010:
MS, DPCC to take meeting of power plant officials to expedite the issue of installation/modification of ESPs to control of PM emissions and to seek time schedule to control PM emissions.
Action taken/ Status after the meeting held on 19.01.2010:

11. Letter regarding compliance of decision taken in CMC (MSW) meeting held on 19.01.2010 issued on 12.02.2010.

12. Applied for Renewal of Consent on 17.02.2010.

13. Monthly Opacity Meter Monitoring Report received on 06.02.2010.

14. Return for Hazardous Waste received on 28.01.2010.

15. Monthly Environmental Reports received on 20.02.2010 and 20.03.2010.

16. A letter regarding Expansion by addition of 1050 MW (Stage - III), Phase- I, Badarpur Combined Cycle Gas Based Thermal Power Plant of at Badarpur Thermal Power Station, New Delhi – TOR received from MoEF on 19.03.2010. 

17. DPCC Monitoring results for the months of February, March, 2010 are as under:
	S.No.


	Sampling Location


	Concentration in mg/Nm3

	
	
	Particular Matter
	Sulphur Dioxide
	NOx

	
	
	Feb 10
	Mar 10
	Feb. 10
	Mar. 10
	Feb. 10
	Mar. 10

	1.
	Duct of unit no. 1A
	88
	71
	480
	488
	204
	340

	2.
	Duct of unit no. 1B
	78
	67
	496
	500
	204
	340

	3.
	Duct of unit no. 2A
	92
	116
	468
	480
	228
	317

	4.
	Duct of unit no. 2B
	81
	99
	508
	472
	228
	317

	5.
	Duct of unit no. 3A
	96
	99
	508
	484
	232
	250

	6.
	Duct of unit no. 3B
	82
	102
	512
	504
	232
	250

	7.
	Duct of unit no. 4A
	64
	97
	560
	520
	292
	297

	8.
	Duct of unit no. 4B
	71
	90
	536
	528
	292
	297

	9.
	Duct of unit no. 5A
	#
	#
	#
	#
	#
	#

	10.
	Duct of unit no. 5B
	#
	#
	#
	#
	#
	#


#- Shut Down/ Under Maintenance







18. DPCC Monitoring reports for waste water from Ash Pond for the month of February, 2010 is as under:

	Date of Monitoring 

 
	Ash Pond Discharge 
	Condenser Cooling Water
	STP
	Remarks 

	
	pH
	TSS
	Oil & Grease
	pH
	Temperature Difference 
	Free available Chlorine
	pH
	TSS
	Oil &

Grease
	BOD
	COD
	

	Standards 
	6.5-8.5
	100
	20
	6.5-8.5
	Not more than 100C higher than intake water temperature 
	0.50
	6.5-9.0
	50
	10
	30
	250
	STP Standards 

	08.01.2010
	8.5
	34
	<1.0
	7.9
	9.2
	Nil 
	7.7
	18
	2.0
	20
	92
	--


19. Meetings with the unit regarding reducing of Particulate Matter Level to 50 mg/Nm3 were taken on 19.02.2010 and 12.04.2010. 

20. Action plan from the unit received on 12.04.2010 regarding limiting the PM in stack as <50 mg/Nm3. Action plan in this regard is as follows:

(v) Award of work for bringing down PM levels below to 50 mg/Nm3 in 2X 210 MW by June 2010.

(vi) Award of work for bringing down PM levels below to 150 mg/Nm3 in 3 X 95 MW by July 2010.

(vii) Awarded the EIA study for installation of 1050 MW gas based unit on 12.03.2010.

(viii) Closure of coal based 3X95 MW units to be done after commissioning of 1050 MW gas based unit.

Decision of Consent Management Committee (Orange) wrt cases of MSW Cell dated 20.04.2010:
Issue CTO(R).

Action taken/ Status after the meeting held on 20.04.2010:

7. CTO (R) under water and air act was issued on 11-05-2010 and is valid up to 16-02-2013.

8. DPCC  Monitoring results for the months of May, June, July 2010 are as under:
	S.No.


	Sampling Location


	Concentration in mg/Nm3

	
	
	Particular Matter
	Sulphur Dioxide
	NOx

	
	
	May. 10
	June 10
	July 10
	May. 10
	June 10
	July 10
	May. 10
	June 10
	July 10

	1.
	Duct of unit no. 1A
	96
	#
	72
	380
	#
	320
	236
	#
	175

	2.
	Duct of unit no. 1B
	78
	#
	58
	396
	#
	293
	236
	#
	175

	3.
	Duct of unit no. 2A
	101
	72
	63
	388
	435
	320
	292
	220
	119

	4.
	Duct of unit no. 2B
	107
	73
	68
	390
	460
	346
	292
	220
	119

	5.
	Duct of unit no. 3A
	#
	65
	57
	#
	480
	213
	#
	262
	138

	6.
	Duct of unit no. 3B
	#
	91
	67
	#
	
	240
	#
	262
	138

	7.
	Duct of unit no. 4A
	64
	#
	#
	440
	#
	#
	300
	#
	#

	8.
	Duct of unit no. 4B
	59
	#
	#
	424
	#
	#
	300
	#
	#

	9.
	Duct of unit no. 5A
	70
	108
	81
	420
	500
	415
	272
	292
	115

	10.
	Duct of unit no. 5B
	65
	67
	56
	412
	490
	370
	272
	292
	115


# Shut Down/ Under Maintenance








DPCC Monitoring reports for waste water quality from Ash Pond for the month of April, May and June 2010 is as under:

April 2010
	Date of Monitoring 

 
	Ash Pond Discharge 
	Condenser Cooling Water
	STP
	Remarks 

	
	pH
	TSS
	Oil & Grease
	pH
	Temperature Difference 
	Free available Chlorine
	pH
	TSS
	Oil &

Grease
	BOD
	COD
	

	Standards 
	6.5-8.5
	100
	20
	6.5-8.5
	Not more than 100C higher than intake water temperature 
	0.50
	6.5-9.0
	50
	10
	30
	250
	STP Standards 

	9-04-10
	7.8
	16
	0.4
	7.5
	9.5
	Nil 
	8.0
	14
	0.8
	12
	32
	--


                                                            May 2010

	Date of Monitoring 

 
	Ash Pond Discharge 
	Condenser Cooling Water
	STP
	Remarks 

	
	pH
	TSS
	Oil & Grease
	pH
	Temperature Difference 
	Free available Chlorine
	pH
	TSS
	Oil &

Grease
	BOD
	COD
	

	Standards 
	6.5-8.5
	100
	20
	6.5-8.5
	Not more than 100C higher than intake water temperature 
	0.50
	6.5-9.0
	50
	10
	30
	250
	STP Standards 

	07.05.10
	7.8
	18
	<1.0
	7.3
	9.8
	Nil 
	7.0
	44
	2.0
	21
	80
	--


                                                  June 2010

	Date of Monitoring 

 
	Ash Pond Discharge 
	Condenser Cooling Water
	STP
	Remarks 

	
	pH
	TSS
	Oil & Grease
	pH
	Temperature Difference 
	Free available Chlorine
	pH
	TSS
	Oil &

Grease
	BOD
	COD
	

	Standards 
	6.5-8.5
	100
	20
	6.5-8.5
	Not more than 100C higher than intake water temperature 
	0.50
	6.5-9.0
	50
	10
	30
	250
	STP Standards 

	08.06.2010
	7.4
	24
	0.8
	7.4
	9.5
	Nil 
	7.7
	40
	2.0
	16
	86
	--


9. Monthly Environmental Reports of NTPC limited of March 2010, April 2010, May 2010, June 2010 was received on 19.04.2010, 20.05.2010, 24.06.2010, and 22.07.2010 respectively.

10. Environmental statement for the Year, 2009-2010 in respect of Badarpur Thermal Power station was received on 29.06.2010.
11. For regulating the SPM emission, DPCC has decided to enforce stringent norms of 50 mg/ Nm3. regarding this MS, DPCC took a meeting in his chamber.

12. In compliance of meeting BTPS has submitted its action plan.

Decision of Consent Management Committee (Orange) wrt cases of MSW Cell dated 09.08.2010:
Issue renewal of authorization under HWM Rules.

Chairman
M. S.
      Member        Prof. S.K Gupta
SEE
     EE
      AEE 

DPCC
DPCC    Env. Deptt.    Member (Acd. Inst)   
(MSW) MSWM Cell

 Rajghat Power Station
Status of Consent: Applied for “Consent to Operate” on 30.06.2004. Now the unit has further applied for Consent to Operate on 17.04.09.  
Decision of Consent Management Committee (Orange) wrt cases of MSW Cell dated 19.01.2010:
Issue CTO(R). MS, DPCC to call a meeting of the officials of TPP to seek time schedule to control PM emissions.
Action taken/ Status after the meeting held on 19.01.2010:

9. Letter regarding compliance of decision taken in CMC (MSW) meeting held on 19.01.2010 issued on 12.02.2010.

10. Reply received on 16.03.2010 regarding compliance of decision taken in CMC (MSW) meeting held on 19.01.2010.

11. Return for Hazardous Waste received on 20.01.2010.

12. Environmental status/ Pollution measures report for the month of December, 2009, January and February, 2010 in regard to RPH dated 30.01.2010, 22.02.2010 and 29.03.2010 received. 
13. Monthly report for stack emission of RPH for the month of January and February 2010 dated 06.02.2010 and 06.03.2010 received. 
	
S.No.


	Sampling Location


	Concentration in mg/Nm3

	
	
	Particular Matter
	Sulphur Dioxide
	Nox

	
	
	Feb. 10
	Mar. 10
	Feb. 10
	Mar. 10
	Feb. 10
	Mar. 10

	1.
	Duct of unit no. IA
	244
	225
	420
	440
	243
	283

	2.
	Duct of unit no. IB
	215
	249
	432
	460
	243
	283

	3.
	Duct of unit no.IIA
	#
	#
	#
	#
	#
	#

	4.
	Duct of unit no. IIB
	#
	#
	#
	#
	#
	#


14. DPCC Monitoring results for the months of February, March, 2010 are as under:
# - Shut Down/ Under Maintenance.

15. DPCC Monitoring reports for waste water from Ash Pond for the month of February, 2010 is as under:

	Date of Monitoring 

 
	Ash Pond Discharge 
	Condenser Cooling Water
	STP
	Remarks 

	
	pH
	TSS
	Oil & Grease
	pH
	Temperature Difference 
	Free available Chlorine
	pH
	TSS
	Oil &

Grease
	BOD
	COD
	

	Standards 
	6.5-8.5
	100
	20
	6.5-8.5
	Not more than 100C higher than intake water temperature 
	0.50
	6.5-9.0
	50
	10
	30
	250
	STP Standards 

	04.01.2010
	--
	--
	--
	--
	--
	--
	--
	--
	--
	--
	--
	No flow in Ash Pond.


16. Meetings with the unit regarding reducing of Particulate Matter Level to 80 mg/Nm3 were taken on 19.02.2010 and 12.04.2010.
Decision of Consent Management Committee (Orange) wrt cases of MSW Cell dated 20.04.2010:
No Action.

Action taken/ Status after the meeting held on 20.04.2010

6. Environmental status/ Pollution measures report for the month of April, May, June 2010 in regard to RPH dated 25.05.2010, 15.06.2010 and 20.07.2010 received. 
7. Letter was received from assistant manager (Envt. Cell) Rajghat power House referring to our earlier letter dated 15.07.2004 stating that Rajghat power House has  submitted application form along with requisite documents before one month of the expiry of the referred authorization under HW(M&H) Rules, 1989 but it has not received the renewed authorization against the previous authorization no. DPCC/HWM/2004/37 dated 15.07.04 which was valid for two years. And has requested for renewed authorization about the authorized TSDF to dispose off spent resin etc.

8. DPCC Monitoring results for the months of April, May, June, July  2010 are as under:
	
S.No.


	Sampling Location


	Concentration in mg/Nm3

	
	
	Particular Matter
	Sulphur Dioxide
	Nox

	
	
	Apr 10
	May 10
	Apr 10
	May 10
	Apr 10
	May 10

	1.
	Duct of unit no. IA
	
	#
	
	#
	
	#

	2.
	Duct of unit no. IB
	
	#
	
	#
	
	#

	3.
	Duct of unit no.IIA
	
	185
	
	360
	
	282

	4.
	Duct of unit no. IIB
	
	174
	
	380
	
	282

	
S.No.


	Sampling Location


	Concentration in mg/Nm3

	
	
	Particular Matter
	Sulphur Dioxide
	Nox

	
	
	June 10
	July 10
	June 10
	July 10
	June 10
	July 10

	1.
	Duct of unit no. IA
	#
	#
	#
	#
	#
	#

	2.
	Duct of unit no. IB
	#
	#
	#
	#
	#
	#

	3.
	Duct of unit no.IIA
	145
	203
	424
	280
	267
	166

	4.
	Duct of unit no. IIB
	172
	145
	400
	300
	267
	166


4. DPCC Monitoring reports for waste water quality from Ash Pond for the month of April, May and June  2010 is as under:      

April 2010

	Date of Monitoring 

 
	Ash Pond Discharge 
	Condenser Cooling Water
	STP
	Remarks 

	
	pH
	TSS
	Oil & Grease
	pH
	Temperature Difference 
	Free available Chlorine
	pH
	TSS
	Oil &

Grease
	BOD
	COD
	

	Standards 
	6.5-8.5
	100
	20
	6.5-8.5
	Not more than 100C higher than intake water temperature 
	0.50
	6.5-9.0
	50
	10
	30
	250
	STP Standards 

	04.01.2010
	7.9
	44
	1.2
	--
	--
	--
	--
	--
	--
	--
	--
	


May 2010

	Date of Monitoring 

 
	Ash Pond Discharge 
	Condenser Cooling Water
	STP
	Remarks 

	
	pH
	TSS
	Oil & Grease
	pH
	Temperature Difference 
	Free available Chlorine
	pH
	TSS
	Oil &

Grease
	BOD
	COD
	

	Standards 
	6.5-8.5
	100
	20
	6.5-8.5
	Not more than 100C higher than intake water temperature 
	0.50
	6.5-9.0
	50
	10
	30
	250
	STP Standards 

	04.01.2010
	7.9
	12
	< 1.0
	---
	--
	--
	--
	--
	--
	--
	--
	


June 2010

	Date of Monitoring 

 
	Ash Pond Discharge 
	Condenser Cooling Water
	STP
	Remarks 

	
	pH
	TSS
	Oil & Grease
	pH
	Temperature Difference 
	Free available Chlorine
	pH
	TSS
	Oil &

Grease
	BOD
	COD
	

	Standards 
	6.5-8.5
	100
	20
	6.5-8.5
	Not more than 100C higher than intake water temperature 
	0.50
	6.5-9.0
	50
	10
	30
	250
	STP Standards 

	04.01.2010
	7.9
	12
	1.6
	--
	--
	--
	--
	--
	--
	--
	--
	


9. For regulating the SPM emission, DPCC has decided to enforce stringent norms of 50 mg/ Nm3. regarding this MS, DPCC took a meeting in his chamber.

10. In compliance of meeting RPH has submitted its action plan.

Decision of Consent Management Committee (Orange) wrt cases of MSW Cell dated 09.08.2010:
Seek present status regarding progress in action taken to comply with the norm of 50mg/Nm3 w.r.t Particulate Matter.

Chairman
M. S.
      Member        Prof. S.K Gupta
SEE
     EE
      AEE 

DPCC
DPCC    Env. Deptt.    Member (Acd. Inst)   
(MSW) MSWM Cell


Pragati Power Station, ITO
Status of Consent: Applied for renewal of the Consent vide ID. No. 24530 dated 18.12.07, valid up to 12.01.2011.

Decision of Consent Management Committee (Orange) wrt cases of MSW Cell dated 19.01.2010:
Issue renewal of consent
Action taken/ Status after the meeting held on 19.01.2010:
6. Renewal of Consent already valid up to 12.01.2011.

7. Hazardous Waste Return w.r.t. Jan 09- Dec 10 received on 20.01.2010.

8. Letters regarding Pollution measures report for the months of December, 09 and February, 10 received on 30.01.2010 and 29.03.2010 respectively.

9. DPCC Monitoring results for the months of February & March, 2010 are as under:
	S.No
	Sampling Location 
	Concentration of NOx in ppm

	
	
	Feb. 10
	Mar. 10

	1.
	Duct of unit-I
	20
	20

	2.
	Duct of unit-II
	10
	10


10. DPCC Monitoring reports for waste water from Ash Pond for the month of February & March, 2010 are as under:

	Date of Monitoring 

 
	Ash Pond Discharge 
	Condenser Cooling Water
	CMB
	Remarks 

	
	pH
	TSS
	Oil & Grease
	pH
	Temperature Difference 
	Free available Chlorine
	pH
	TSS
	Oil &

Grease
	BOD
	COD
	

	Standards 
	6.5-8.5
	100
	20
	6.5-8.5
	Not more than 100C higher than intake water temperature
	0.50
	6.5-9.0
	50
	10
	30
	250
	STP

Standards 

	06.01.2010
	--
	--
	--
	--
	--
	--
	7.5
	28
	1.6
	26
	100
	--


Decision of Consent Management Committee (Orange) wrt cases of MSW Cell dated 20.04.2010:
No Action.

Action taken/ Status after the meeting held on 20.04.2010:
4. Letters regarding Pollution measures report for the months of March 2010, April 2010, May 2010 and June 2010 received on 26.04.2010, 25.05.2010, 15.06.2010 and 12.07.2010 respectively.

5. Letter was received from assistant manager (Envt. Cell) Pragati power station referring to our earlier letter dated 15.07.2004 stating that Pragati power station has  submitted application form along with requisite documents before one month of the expiry of the referred authorization under HW(M&H) Rules, 1989 but it has not received the renewed authorization against the previous authorization no. DPCC/HWM/2004/36 which was valid for two years. And has requested for renewed authorization about the authorized TSDF to dispose off spent resin etc.

6. DPCC Monitoring results for the months of May, June, July 2010 are as under:
	S.No.


	Sampling Location


	Concentration in mg/Nm3

	
	
	Particular Matter
	Sulphur Dioxide
	Nox

	
	
	May

10
	June 10
	July

10
	May 10
	June

10
	July

10
	May

10
	June 10
	July

10

	1.
	Duct of unit no. I
	--
	--
	--
	--
	--
	--
	20
	20
	20

	2.
	Duct of unit no. II
	--
	--
	--
	--
	--
	--
	10
	15
	20


DPCC Monitoring reports for waste water from Ash Pond for the month of May, June, 2010 are as under:

	Date of Monitoring 

 
	Ash Pond Discharge 
	Condenser Cooling Water
	CMB
	Remarks 

	
	pH
	TSS
	Oil & Grease
	pH
	Temperature Difference 
	Free available Chlorine
	pH
	TSS
	Oil &

Grease
	BOD
	COD
	

	Standards 
	6.5-8.5
	100
	20
	6.5-8.5
	Not more than 100C higher than intake water temperature
	0.50
	6.5-9.0
	50
	10
	30
	250
	STP

Standards 

	05.05.10
	--
	--
	--
	--
	--
	--
	7.4
	28
	1.2
	18
	96
	--

	04.06.10
	--
	--
	--
	--
	--
	--
	7.9
	32
	1.0
	25
	90
	- 


Decision of Consent Management Committee (Orange) wrt cases of MSW Cell dated 09.08.2010:
No Action.

Chairman
M. S.
      Member        Prof. S.K Gupta
SEE
     EE
      AEE 

DPCC
DPCC    Env. Deptt.    Member  (Acd. Inst)   (MSW) MSWM Cell
I.P. Gas Turbine Power Station
 Status of Consent: Applied for renewal of the Consent vide ID. No. 24589 dated 27.12.07, valid up to 04.01.2011.

Decision of Consent Management Committee (Orange) wrt cases of MSW Cell dated 19.01.2010:
No Action.

Action taken/ Status after the meeting held on 19.01.2010:
5. Hazardous Waste Return w.r.t. Jan 09- Dec 10 received on 20.01.2010.

6. Environmental Status Pollution Measures Report for the months of December 2009 and January 2010 dated 30.01.2010 and 16.02.2010 respectively, received.
7. DPCC Monitoring results for the months of February & March, 2010 are as under:
	S. No.
	Sampling Location


	Concentration in ppm

	
	
	NOx

	
	
	Feb. 10
	Mar. 10

	1.
	GT-1
	70
	70

	2.
	GT-2
	70
	##

	3.
	GT-3
	60
	70

	4.
	GT-4
	##
	#

	5.
	GT-5
	#
	60

	6.
	GT-6
	70
	60


8. DPCC Monitoring reports for waste water from Ash Pond for the month of February 2010 are as under:

	Date of Monitoring 

 
	Ash Pond Discharge 
	Condenser Cooling Water
	CMB
	Remarks 

	
	pH
	TSS
	Oil & Grease
	pH
	Temperature Difference 
	Free available Chlorine
	pH
	TSS
	Oil &

Grease
	BOD
	COD
	

	Standards 
	6.5-8.5
	100
	20
	6.5-8.5
	Not more than 100C higher than intake water temperature
	0.50
	6.5-9.0
	50
	10
	30
	250
	STP

Standards 

	06.01.2010
	--
	--
	--
	--
	--
	--
	--
	--
	--
	--
	--
	Non-Operational


Decision of Consent Management Committee (Orange) wrt cases of MSW Cell dated 20.04.2010:
No Action.

Action taken/ Status after the meeting held on 20.04.2010:
5. Environmental Status Pollution Measures Report for the months of March April May, June 2010 dated 26.04.2010, 25.05.2010, 21.06.2010 and 12.07.2010 respectively, received.
6. Letter was received from assistant manager (Envt. Cell) Pragati power station referring to our earlier letter dated 15.07.2004 stating that Pragati power station has  submitted application form along with requisite documents before one month of the expiry of the referred authorization under HW(M&H) Rules, 1989 but it has not received the renewed authorization against the previous authorization no. DPCC/HWM/2004/38 dated 15.07.04 which was valid for two years. And has requested for renewed authorization about the authorized TSDF to dispose off spent resin etc.

7. DPCC Monitoring results for the months of May, June and July,2010 are as under:

	

S.No.


	Sampling Location


	Concentration in ppm

	
	
	Nox

	
	
	May,10
	June, 10
	July,10

	1.
	GT-1
	70
	70
	70

	2.
	GT-2
	70
	70
	70

	3.
	GT-3
	60
	60
	#

	4.
	GT-4
	#
	60
	#

	5.
	GT-5
	#
	60
	70

	6.
	GT-6
	##
	60
	70


# -GT Shut Down, ## Boiler of STG Shut Down
8. DPCC Monitoring reports for waste water from Ash Pond for the month of April, May and June 2010 are as under:
	Date of Monitoring 

 
	Ash Pond Discharge 
	Condenser Cooling Water
	ETP
	Remarks 

	
	pH
	TSS
	Oil & Grease
	Ph
	Temperature Difference 
	Free available Chlorine
	pH
	TSS
	Oil &

Grease
	BOD
	COD
	

	Standards 
	6.5-8.5
	100
	20
	6.5-8.5
	Not more than 100C higher than intake water temperature 
	0.50
	6.5-9.0
	50
	10
	30
	250
	STP Standards 

	07.04.2010
	--
	--
	--
	--
	--
	--
	7.5
	26
	0.4
	15
	80
	--

	05.05.2010
	--
	--
	--
	--
	--
	--
	7.6
	20
	1.6
	16
	76
	--

	04.06.2010
	--
	--
	--
	--
	--
	--
	7.7
	40
	2.0
	16
	86
	--


Decision of Consent Management Committee (Orange) wrt cases of MSW Cell dated 09.08.2010:

No Action.

Chairman
M. S.
      Member        Prof. S.K Gupta
SEE
     EE
      AEE 

DPCC
DPCC    Env. Deptt.    Member (Acd. Inst)   
(MSW) MSWM Cell
Pragati Power Station , Bawana

Status of Consent: Consent to establish issued for one year for 1600 MW on 27/7/2007.

Decision taken in meeting held on 26.06.2007:

Issue consent to the unit for 1600 MW considering Environmental Clearance granted by MoEF for 1600 MW.

Action taken/ Status w.r.t. the meeting held on 26.06.2007:

Consent to establish issued for one year for 1600 MW on 27/7/2007.

Decision of Consent Management Committee in its meeting dated 19.10.2007:

No action.

Remarks:-
No application for extension of  consent to establish received.

Decision of Consent Management Committee in its meeting dated 29.07.2008:
Ask the unit to file latest status report and item-wise compliance of Environmental Clearance conditions through an affidavit within one month. 

Action taken/ Status after the meeting held on 29.07.08:

Letter issued on 14.08.08.  Reply dated 12.09.08 received from the unit with para wise compliance and present status of the project.  Accordingly, contract was awarded to BHEL on 30.04.08.  Preparation of drawings, design memorandums etc. by BHEL are in progress.  BHEL has also completed the Survey and Soil Investigation of the site.  The Civil Works are schedule to commence by October, 2008.

Decision of CMC (MSW) in its meeting dated 10.10.2008:

No action. 
Decision of Consent Management Committee (MSW) its meeting dated 05.12.2008:

The progress report along with PERT and CPM chart may be asked.

Action taken/ Status after the meeting held on 05.12.08:
Letter issued on 29.12.08. A reply dated 20.01.09 received form the unit enclosing with progress of the work and copy of L-1/PERT Network.   The progress of the project is as under:- 

Hon’ble Prime Minister laid the foundation stone.

Turn Key Contract awarded to BHEL.

Contract signed.

BHEL has awarded civil contract to M/s. Era who have since mobilized at site.  The construction of boundary wall is in progress since 30.09.08.

Pilling work has also started since 20.12.08.

Excavation, leveling and dressing work are also in progress.

Design and Engineering of various equipments is also in progress.

Decision of Consent Management Committee (MSW) its meeting dated 23.01.2009:

No action.

Decision of Consent Management Committee (MSW) its meeting dated 12.05.2009:
No action.

Decision of Consent Management Committee (Orange) wrt cases of MSW Cell dated 19.01.2010:
Ask the unit to submit progress report on construction and commissioning of the plant and apply for CTO before operation of the project.
Action taken/ Status after the meeting held on 19.01.2010:
3. Letter w.r.t. Compliance of ssCommittee (MSW) meeting held on 19.01.2010 issued on 12.02.2010.

4. Reply Awaited.

Decision of Consent Management Committee (Orange) wrt cases of MSW Cell dated 20.04.2010:
Issue D.O. letter from MS, DPCC to Secretary (Power), GNCTD seeking progress report on construction and commissioning of the plant and urge them to apply for CTO before commissioning of the project.
Action taken/ Status after the meeting held on 20.04.2010:
3. D.O letter from MS, DPCC to Secretary (Power), GNCTD seeking progress report on construction and commissioning of the plant and urge them to apply for CTO before commissioning of the project was issued on 02.06.2010.

4. Reply awaited.

Decision of Consent Management Committee (Orange) wrt cases of MSW Cell dated 09.08.2010

Issue reminder asking the unit to apply for CTO.

Chairman
M. S.
      Member        Prof. S.K Gupta
SEE
     EE
      AEE 

DPCC
DPCC    Env. Deptt.    Member (Acd. Inst)   
(MSW) MSWM Cell

Combined Cycle Power Plant at Sector-11, Rohini, Delhi BY NDPL

Status of Consent: Applied for Consent to establish for 108 MW on 10.07.08.

Details of the Project:

Proposed capacity of the plant is 108 MW (Natural Gas based Combined Cycle Power Plant). 

Plot Area     :- 



24281 sq. m 

No. of workers 
:-


60

Proposed date of commissioning: -
May, 2009 (Open Cycle) and August, 2009 





(Closed Cycle).

Total Capital Investment :-

Rs. 256.48 Crores

Water consumption: -


8640 KLD (Treated Effluent from Rithala 





STP).

ETP proposed for treatment of 4320 KLD and after treatment effluent will be utilized for floor washing, dust suppression and greenbelt while the remaining will be discharged to nallah near the project site.  As per the norms.

Domestic effluent:-


108 KLD to be disposed of Sewer of Drain. 

No D.G. Set proposed 




Remarks:-  An application for hearing under EIA notification has also been received in DPCC and is under process by Consent Management Cell. Public hearing is scheduled on 22.08.08. 
Decision of Consent Management Committee (Orange) wrt cases of MSW Cell dated 19.01.2010:
Ask the unit to submit progress report on construction and commissioning of the plant and apply for CTO before operation of the project.
Action taken/ Status after the meeting held on 19.01.2010:
3. Letter w.r.t. Compliance of Committee (MSW) meeting held on 19.01.2010 issued on 12.02.2010.

4. Reply dated 24.02.2010 received along with progress report on construction and commissioning of unit. Progress report states that the schedule for commissioning of open cycle by June, 2010 and combined cycle by July, 2010.

Decision of Consent Management Committee (Orange) wrt cases of MSW Cell dated 20.04.2010:
Ask the unit to submit application for CTO under Air and Water Acts, well before commissioning of the project.
Action taken/ Status after the meeting held on 20.04.2010:
3. A letter asking the unit to submit application for CTO under Air and Water Acts, well before commissioning of the project was issued on 24.05.2010.

4. A letter is received by General Manager, Power Management & Corporate Commercial; regarding Consent to Operate in which they have stated that they will file an application for ‘Consent to Operate’ well before commissioning CCPP.
Decision of Consent Management Committee (Orange) wrt cases of MSW Cell dated 09.08.2010:
No action

Chairman
M. S.
      Member        Prof. S.K Gupta
SEE
     EE
      AEE 

DPCC
DPCC    Env. Deptt.    Member (Acd. Inst)   
(MSW) MSWM Cell

Pragati Power Corporation Ltd., Bamnauli

Name of the agency: M/s Pragati Power Corporation Ltd., IP Estate, Ring Road, New Delhi.
Particulars of the project: Generating Electricity 
Status of Consent: 

Applied for consent to establish under Air & Water Acts vided ID. No. 31499 dt. 18.09.09.
Details of the project: 

Proposed activities are for generating electricity of 750 MW (Nominal)/8010 MW (max). 

Proposed Investment on the project is Rs.3022.17 crores.

Total Plot Area is 2,00,000 sq m

Built up area- 1,00,000 sq m.

Proposed to be commissioned from 2011-12.

No of workers & other staff- 480 persons
Water consumption:

Domestic – NIL, 

Industrial cooling – 38,400 KLD, 
Processing – 2,400 KLD,
Other (Gardening) – 2,400 KLD

Quantity of domestic waste generated is 10 KLD and Industrial is 19920 KLD.
DG Sets proposed to be installed – 2 X 1500 KVA with acoustic enclosure.

Perpetual lease by DDA for this land is enclosed.  
Environmental Clearance Status:

    Yet to be obtained.

Remarks:

3. Unit applied for CTE along with EIA report with a request to conduct public hearing.

4. No request/direction from MoEF, GOI received for conducting public hearing, before issuance of EC. 
Decision of Consent Management Committee (Orange) wrt cases of MSW Cell dated 19.01.2010:
SEE to check with the department of Power, GNCTD, Dy. Commissioner and MoEF and put the file on the issue of conducting public hearing without waiting for minutes. 

Action taken/ Status after the meeting held on 19.01.2010:
3. Public Notice for public hearing published on 12.03.2010.

4. Public Hearing conducted in the office of Deputy Commissioner (South- West) on 16.04.2010, Minutes/ Findings/ Outcomes of the hearing are under preparation.

Decision of Consent Management Committee (Orange) wrt cases of MSW Cell dated 20.04.2010:
Await for Environmental Clearance (EC).

Decision of Consent Management Committee (Orange) wrt cases of MSW Cell dated 09.08.2010:
No action
Chairman
M. S.
      Member        Prof. S.K Gupta
SEE
     EE
      AEE 

DPCC
DPCC    Env. Deptt.    Member (Acd. Inst)   
(MSW) MSWM Cell

	Status of Fly ash generation and its utilization by Thermal Power Plants 

	
	
	
	
	
	
	
	
	

	The monthly tabular status of three coal based Power Plant is as given below:

	1. I.P. Thermal Power Station 

	
	
	
	
	
	
	
	
	

	S. No.
	Month
	Ash Generation & Utilization
	Ash Utilization in the main area (LTPM)

	
	
	Ash Gen. 
(LTPM)
	Ash Utilization
((LTPM)
	% Utilization 
	Bricks 
	Cement 
	Road & 
Embankment 
	Land filling
& others 

	1
	April, 2008
	0.278
	0.297
	106.83
	0.056
	--
	0.023
	0.218

	2
	May, 2008
	0.317
	0.16
	50.47
	0.06
	--
	0.104
	0.1

	3
	June, 2008
	0.246
	0.337
	136.99
	0.03
	--
	0.093
	0.203

	4
	July, 2008
	0.244
	0.316
	129.5
	0.022
	0.055
	0.074
	0.146

	5
	Aug., 2008
	0.209
	0.154
	73.68
	0.013
	0.025
	0.061
	0.042

	6
	Sept, 2008
	0.170
	0.219
	128.82
	0.035
	0.045
	0.01
	0.078

	7
	Oct., 2008
	0.193
	0.461
	238.86
	0.031
	0.035
	--
	0.385

	8
	Nov., 2008
	0.193
	0.336
	174.91
	0.035
	0.03
	--
	0.301

	9
	Dec., 2008
	0.274
	0.37
	135.04
	0.028
	0.077
	0.365
	0.265

	 
	Total 
	2.124
	2.68
	 
	0.31
	0.267
	0.73
	1.738

	
	
	
	
	
	
	
	
	

	2. Rajghat Thermal Power Station  

	
	
	
	
	
	
	
	
	

	S. No.
	Month
	Ash Generation & Utilization
	Ash Utilization in the main area (LTPM)

	
	
	Ash Gen. 
(LTPM)
	Ash Utilization
((LTPM)
	% Utilization 
	Bricks 
	Cement 
	Road & 
Embankment 
	Land filling
& others 

	1
	April, 2008
	0.19
	0.172
	84.72
	0.012
	0.011
	0.148
	0

	2
	May, 2008
	0.149
	0.232
	155.7
	0.037
	0.023
	0.172
	0

	3
	June, 2008
	0.179
	0.324
	181
	0.039
	0.036
	0.248
	0

	4
	July, 2008
	0.215
	0.163
	75.81
	0.04
	0.035
	0.087
	0

	5
	Aug., 2008
	0.201
	0.069
	34.32
	0.004
	0.027
	0.037
	0

	6
	Sept, 2008
	0.205
	0.178
	86.8
	0.03
	0.049
	0.021
	0.076

	7
	Oct., 2008
	0.206
	0.075
	36.55
	0.035
	0.004
	 
	0.035

	8
	Nov., 2008
	0.217
	0.181
	83.68
	0.022
	0.044
	 
	0.115

	9
	Dec., 2008
	0.220
	0.155
	70.45
	0.029
	0.051
	 
	0.074

	 
	Total 
	0.178
	1.549
	 
	0.248
	0.28
	0.713
	0.3

	
	
	
	
	
	
	
	
	

	3. Badarpur Thermal Power Station  

	
	
	
	
	
	
	
	
	

	S. No.
	Month
	Ash Generation & Utilization
	Ash Utilization in the main area (TPM)

	
	
	Ash Gen. 
(TPM)
	Ash Utilization
((TPM)
	% Utilization 
	Bricks/ Blocks 
	Cement 
	Road & 
Embankment 
	Land filling
& others 

	1
	April, 2008
	61936
	25550
	26.58
	--
	--
	--
	--

	2
	May, 2008
	101182
	32040
	31.67
	--
	--
	--
	--

	3
	June, 2008
	112169
	33490
	29.86
	--
	--
	--
	--

	4
	July, 2008
	114946
	83050
	72.25
	--
	--
	--
	--

	5
	Aug., 2008
	115469
	88010
	76.22
	--
	--
	--
	--

	6
	Sept, 2008
	130449
	119390
	91.52
	--
	--
	--
	--

	7
	Oct., 2008
	97132
	87920
	90.52
	--
	--
	--
	--

	8
	Nov., 2008
	90129
	101700
	112.84
	--
	--
	--
	--

	9
	Dec., 2008
	92552
	106670
	115.25
	--
	--
	--
	--

	 
	Total 
	950164 
	677820 
	 
	 63070
	16480
	21870
	379570


Decision of Consent Management Committee (Orange) wrt cases of MSW Cell dated 19.01.2010:
Ask the units to submit complete report on generation and utilization of fly ash including cumulative quantity till date.

Action taken/ Status after the meeting held on 19.01.2010:
5. Letters issued to Rajghat Power House and Badarpur Thermal Power Station regarding Compliance of the decision taken in Committee (MSW) meeting held on 19.01.2010, on 12.02.2010.

6. Meetings taken by Member Secretary, DPCC on 19.02.2010 and 05.03.2010 regarding Fly Ash utilization and management.

7. Monthly report on Ash generation and utilization for the months of December, 2009, January and February, 2010 dated 30.01.2010, 20.02.2010 and 17.03.2010 respectively received from Rajghat Power House.

8. Monthly report on Ash generation and utilization for the months of October to December, 2009 dated 26.02.2010 received from I.P. Station.
Decision of Consent Management Committee (Orange) wrt cases of MSW Cell dated 20.04.2010:
Ask the  units to submit complete report on generation and utilization of fly ash including cumulative quantity (enclosing Performa) till date.

Action taken/ Status after the meeting held on 20.04.2010:
4. A letter was issued asking units to submit complete report on generation and utilization of fly ash including cumulative quantity (enclosing Performa) till date on 20.05.2010.

5. A copy of letter was received by GM, IPGCL-PPCL regarding submission of Annual compliance on Fly Ash generation & utilization for the year 2009-10 on 15.06.2010 in response to our earlier letter dated 20.05.2010 

6. Monthly report on Ash generation and utilization for the months of March, April, May, June 2010 dated 15.06.2010 and 16.07.2010 received from Rajghat power house.
Decision of Consent Management Committee (Orange) wrt cases of MSW Cell dated 09.08.2010:
Issue reminder seeking the details of fly ash utilization with cumulative generation since inception.

Chairman
M. S.
      Member        Prof. S.K Gupta
SEE
     EE
      AEE 

DPCC
DPCC    Env. Deptt.    Member (Acd. Inst)   
(MSW) MSWM Cell

Agenda 6
Modern Poultry & Egg market at Ghazipur, New Delhi.

Name of the agency: M/s Delhi Agriculture Marketing Board, 9, Institutional Area, Pankha Road, Janakpuri, New Delhi-110058.
Particulars of the project: Modern Poultry & Egg market at Ghazipur, New Delhi.
Status of Consent: 

Applied for consent to establish under Air & Water Acts vided I` D. No. 24811                            dt 24.01.08 (C/1-98), Consent to Establish issued on 09.02.2010, valid up to 07.02.2011.
Details of the project: 

n. Product is dressing of Poultry birds- 48 lakhs birds/ month. 

o. Raw material is Poultry birds- 576 lakhs/ annum. 

p. Proposed Investment on the project is Rs.133.5 crores.

q. Quantity of waste to be disposed per day is 30 TPD.

r. Total Plot Area is 60200 sq m and Built up area- 48160 sq m

s. Sanctioned Power Load /power required– 2925 KW

t. Proposed to be commissioned from March, 2010.

u. No of workers: 

a) During construction phase – 100 b) During operational phase-   25

v. Water consumption:

Domestic - 91000 LPD, 
Industrial cooling/ boiler feeds - 92000 LPD       processing   - 1120000 LPD,
Other (Gardening) – 108000 LPD

w. Quantity of domestic waste generated is 80000 LPD and Industrial is 1100000 LPD

x. Proposed Effluent Treatment Plant of 1200 KLD with tertiary treatment & UV Irradiation and reuse in flushing, HVAC, DG, Horticulture (C/52 of the file). A STP of 200KLD is also proposed (C/58 of the file). 

y. DG Sets proposed to be installed – 2 X 1000 KVA + 2 X 625 KVA.

z. Land allotted by DDA for this purpose (allotment letter at C/4-6)  

Remarks:

As per the provisions of EIA notification dated 14.09.06 the following construction projects are to be required Environmental Clearance from MoEF:

Building and Construction Projects having built up area ≥ 20000 sqm and < 150000 sqm of built up area. 

Townships and Area Development Projects having covering an area ≥ 50 ha and or built up area ≥150000 sqm.   

Decision of Consent Management Committee (MSW) its meeting dated 12.05.2009:

No action.

Action taken/ Status after the meeting held on 12.05.09:

Unit was inspected on 03.09.09. During the inspection,

The contacted persons from the unit were guided & educated about the requirement of installation of ETP in view of large discharge i.e. 600 KLD from present slaughtering of birds. 
A list of empanelled consultants & approved laboratories alongwith norms were also provided which can further help them in the process of installation of adequate ETP.

The unit can go for testing of inlet sample so as to arrive the norms/ standards prescribed to be meet by the unit. 
Decision of Consent Management Committee (Orange) wrt cases of MSW Cell dated 19.01.2010:
Issue Consent to establish and ask the unit to apply for CTO. 
Action taken/ Status after the meeting held on 19.01.2010:
4. Consent to Establish issued on 09.02.2010, valid up to 07.02.2011.

5. A request dated 15.03.2010 received regarding nomination of an expert from the DPCC, as a special member of the standing Committee of DAMB for finalizing the suitable technology and cost effectiveness for ETP to be constructed by DAMB. Accordingly, As per the approval of Competent Authority Sh. B.M.S. Reddy is named for the same.

6. A inspection was carried out by the officials of DPCC on 13.04.2010 and the findings of the inspection are as under:

(v) The effluent from the unit goes into municipal sewer.

(vi) Unit doesn’t have any treatment facility for the waste generated.

(vii) Boundary wall shows that there is leakage of waste water from the activity.

(viii) Some of the blood spots appears on the boundary wall of the unit.
Decision of Consent Management Committee (Orange) wrt cases of MSW Cell dated 20.04.2010:
MS, DPCC to take a meeting with Director, DAMB.

Action taken/ Status after the meeting held on 20.4.2010:
 A meeting of MS, DPCC with Director, DAMB was held on 02.06.2010 to discuss the issues related to installation of ETP and rectification of the deficiencies observed during the inspection. DAMB was advised to get the consultancy from empanelled consultants of DPCC.

A letter was received from DAMB on 16.06.2010 informing that offer has been invited from the consultants empanelled with DPCC and will be received by 23.06.2010.
Decision of Consent Management Committee (Orange) wrt cases of MSW Cell dated 09.08.2010:
Issue letter to seeking present status regarding installation of ETP and ask the unit to install ETP in 3 months.

Chairman
M. S.
      Member        Prof. S.K Gupta
SEE
     EE
      AEE 

DPCC
DPCC    Env. Deptt.    Member (Acd. Inst)   
(MSW) MSWM Cell

Delhi Food Processing Complex (Meat) at Ghazipur, Delhi

Name & Address: Municipal Corporation of Delhi, Delhi Food Processing Complex (Meat) at Ghazipur, Delhi 

Correspondence Address: MCD Department of Veterinary Services, Room No. 56, Town Hall, Delhi-06
Status of Consent: 

Consent to Establish valid upto 13.09.09. Consent to Operate under Air/ Water Acts valid upto 18.10.2012.
Activity: Slaughter House (1.75 MLD)  

Status: 

Applied for consent to establish under Air & Water Act on 02-06-05 EIA report not submitted alongwith the application.  The case was earlier dealt by EIA Cell and matter was sent to Ministry of Environment & Forest, since issues related to EIA notification and Hon’ble Supreme Court Orders are also involved in this case, letter was also issued on 30-08-07 by EIA Cell regarding seeking information about the Environment clearance by MOEF however reply to the said letter has not been received so far. As directed inspection was conducted by a team comprising of DPCC officials and Dr. T.K.Joshi, Head, CEOH on 24-08-07(Copy enclosed).  During the inspection the civil construction work as well as fixation and erection of machineries was going on.  The work of construction of ETP was also going on. In the vicinity the rendering plant is also coming up and an ETP was also seen.  The inspection of the facility could not be done since no responsible person at the site.  Details of the ETP submitted with the project report mentions about Physico Chemical Treatment.  Since waste water generated from both the section (i) Slaughter House (ii) Rendering Plant has mainly organic waste which is biodegradable, therefore Physico Chemical Treatment should be avoided since as per HW Rules it will be generating Hazardous Waste.  Besides above unit should also go for better sludge handling mechanism Letter was issued followed by the reminder letter as decided by the BMW Committee & Reply along with Report on ETP/ Rapid EIA Report received. MOEF Clearance yet to be received.

Decision of Consent Management Committee (Orange) wrt cases of MSW Cell dated 19.01.2010:
Ask the DPCC lab to conduct the monitoring w.r.t. water / air / noise and boiler without waiting for minutes. Also SEE (MSW) to inspect the premises before the meeting called by CS, GNCTD on 22.01.2010.
Action taken/ Status after the meeting held on 19.01.2010:
11. Analysis report for the treated waste water at ETP, MCD Slaughter House, Ghazipur, Delhi, submitted on 19.01.2010 from the laboratory not indicated in the list of empanelled laboratories of DPCC.

12. Stack monitoring report and Noise monitoring report w.r.t. MCD Slaughter House, Ghazipur, Delhi, submitted by the laboratory of DPCC on 21.01.2010.

13. The unit was inspected by the officials of DPCC on 21.01.2010 and the observations are as under:

(v) Permission from DJB for ground water extraction not available.

(vi) No Rain Water Harvesting System installed.

(vii) Waste water being generated by poultry slaughtering house is not being treated by the MCD.

(viii) Installation of Bio-methanation has not been done.

14. A meeting was taken by Chief Secretary, Delhi on 22.01.2010 to discuss the issues related to Environmental Clearance for MCD Slaughter House.

15. Analysis report of Water Effluent w.r.t. MCD Slaughter House, Ghazipur, Delhi, submitted by the laboratory of DPCC on 25.01.2010.
16. A letter for control of BOD in the treated trade effluent issued on 01.02.2010.

17. Consent to Operate under Air and Water Acts issued on 01.02.2010, valid up to 18.10.2012.

18. A complaint received from CPCB regarding pollution caused by slaughter house located at Ghazipur, Delhi on 11.03.2010.

19. Analysis report of Water Effluent submitted by MCD Slaughter House, Ghazipur, Delhi, from the laboratory of GGSIPU on 30.03.2010. which is as under:

Parameters



Inlet



Outlet

(vii) pH


-

7.30



7.50

(viii) TSS


-

63 mg/l


23 mg/l

(ix) Oil and Grease
-

19.60 mg/l


7.20 mg/l

(x) TDS


-

3030 mg/l


580 mg/l

(xi) COD


-

509 mg/l


58.8 mg/l

(xii) BOD5 (20oC)
-

270 mg/l


26 mg/l
20. The unit was inspected by the officials of DPCC w.r.t the complaint received from CPCB on 13.04.2010 and the observations are as under:

(vi) During the inspection entire stretch of this unit along the side of U.P. boundary wall leakage of blood/ liquid not observed.

(vii) Slaughter house is completely inhouse and is having an ETP for the treatment of waste generated from this complex.

(viii) Dr. Om Prakash who is manager of the project has told that there might have been leakage during some construction adjoining the wall towards U.P. state electricity grid.

(ix) Now the entire stretch along the U.P. Govt. boundary wall is properly replaced to R.C.C. and there is no scope of leakage of blood or any type of liquid waste.

(x) ETP found in operational condition but it needs major improvement for controlling the Environmental Pollution.
Decision of Consent Management Committee (Orange) wrt cases of MSW Cell dated 20.04.2010:
Obtain the compliance affidavit from the unit.

Action taken/ Status after the meeting held on 20.4.2010:
A letter was issued to the unit on 10.05.2010 regarding the submission of compliance affidavit w.r.t the conditions laid down by MoEF, GoI while issuing environmental clearance.

· No response is received from the unit as well as MCD.

· Consent to operate and establish were given with conditions and compliance is not received so far. 

Decision of Consent Management Committee (Orange) wrt cases of MSW Cell dated 09.08.2010:
Issue letter seeking compliance affidavit of EC conditions and also to submit effluent and emission reports as stipulated in the CTO issued earlier.
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 Municipal Waste Complex at Gazipur Bio-gas Plant Site
Name of the agency: M/s New Delhi Waste Processing Company Ltd.
Particulars of the project: 

Setting up of integrated Municipal Waste Complex at Gazipur Bio-gas Plant Site, Gazipur. 

The capacity of the project would be 1200TPD. The treatment/ processing of the MSW would be based on DST-TIFAC technology of mixed municipal waste to RDF Fluff preparation and bio-gas generation from the organic waste. The power generation would be 10-12 MW.

 Status of Consent: 

Applied for consent to establish under Air & Water Acts on 22-06-07 & Consent to establish has been issued on 03.07.07 which was valid upto 21.06.08 (C/306) and expired on 22.06.08.

Status of authorization under MSW Rules: 

Applied for authorization under MSW Rules on 30.03.07 and Authorization under MSW Rules was also issued on 03.07.07 for the period of two years (C/303).

Action regarding clearance from other departments: 

Letter issued on 10.05.07 to the operator of the facility to submit:

Detailed project report.

Site clearance certificate from the land owning agency.

EIA clearance from Ministry of Environment & Forests, Government of India.

View of Air Force Base Station, Town and Country Planning, Department of UD, Govt. of India etc.

Status:
· Detailed project report is not received.

· Site clearance certificate from the land owning agency is not received.

· EIA clearance from Ministry of Environment & Forests, Government of India is not received.

· View of Air Force Base Station, Town and Country Planning, Department of UD, Govt. of India etc are not received.
Decision of Consent Management Committee (MSW) its meeting dated 05.12.2008:

Issue direction to complete the project by December, 2009.

Action taken/ Status after the meeting held on 05.12.08:
· The unit has submitted two letters dated 15.12.08. Accordingly, the project has since been bid out and the consortium led by Delhi International Airport Ltd. (DIAL) with M/s Selco International Ltd. has been selected as implementing agency. Now, DIAL will soon start implementation of the project, which will take another 18-20 months time for making the project operational. Unit has requested to extend the validity of CTE for another three years. Unit has also requested to waive off the requirement of separate comments from DC (East) and amend the authorization in the name of “East Delhi Waste Processing Company Pvt. Ltd.” 
· Direction issued on 29.12.08. As per reply dated 19.01.09, M/s East Delhi Waste Processing Co. Pvt. Ltd. (EDWPCL) is a company specially incorporated to develop the project, has been transferred to the DIAL-Selco Consortium. Now, EDWPCL will implement the project, which as per planning, is expected to be operational by August, 2010.
Decision of Consent Management Committee (MSW) its meeting dated 23.01.2009:

Put up in next CMC (MSW) meeting.                                                                                             
Action taken/ Status after the meeting held on 23.01.09:
Letter dated 09.03.09 received from EDWPCL for a request to extend the validity of CTE by another 3 years period as it was valid upto 21.06.08. As desired this  was put up in the 106th CMC (Orange) Meeting held on 20.03.09 and it was decided that “the extension of time is allowed, with the condition that they start the work soon and apply for Consent to Operate as soon as the unit is ready.  Accordingly, a letter was issued to the unit on 16.04.09.   
Decision of Consent Management Committee (MSW) its meeting dated 12.05.2009:

No action.
Action taken/ Status after the meeting held on 12.05.09:

A D.O. letter was issued on 16.06.09 to Sh. Rakesh Mehta, Chief Secretary, Govt. of NCT of Delhi from Sh. Deepak Gupta, Secretary, Ministry of New and Renewable energy, Govt. of India, regarding delay in the project for power generation from Municipal Solid Waste at Ghazipur.

A meeting was held on 24.07.09 in the conference room of Chief Secretary, Govt. of NCT of Delhi. 
Decision of Consent Management Committee (Orange) wrt cases of MSW Cell dated 19.01.2010:
No Action.

Action taken/ Status after the meeting held on 19.01.2010:
2. Representation from the unit was received on 17.02.2010 and 16.04.2010 regarding extension of validity of Authorization under MSW Rules 2000, for next two years i.e. 2nd July 2011.
Decision of Consent Management Committee (Orange) wrt cases of MSW Cell dated 20.04.2010:
Inform the unit that an extension of authorization under MSW Rules, 2000 is not required till the facility starts operating.

Action taken/ Status after the meeting held on 20.04.2010:
A letter was issued by DPCC on 26.07.2010 to M/s East Delhi Waste Processing Co. Pvt. Ltd (NDWPCL) stating that an extension of authorization under MSW Rules, 2000 is not required till the facility starts operating.
Decision of Consent Management Committee (Orange) wrt cases of MSW Cell dated 09.08.2010:
No action
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Development of Engineered Landfill site at Jaitpur/Tajpur

Name of the agency: Municipal Corporation of Delhi.
Particulars of the project: 

Development of Engineered Landfill site at Jaitpur/Tajpur

Agency applied by MCD is Birla Technical Services.

The capacity of waste to be disposed off 1000-1500 TPD.  

Construction, operation and maintenance of this ESL are to be carried out in 32.464 acre of abandoned stone quarry.  

The present status of the site is as under as per brief note received from Sh. Arun Kumar (Spl. Proj.), MCD:- 

Survey of the quarry carried out.

All Geotechnical investigation including monitoring wells testing of rock/water sample completed.

Preliminary final designed checked and approved through IIT Delhi.

Final designed under submission by BTS.

De-watering completed in major portion/in progress in remaining isolated small pits.

Sumps/Pump houses established for stoppage of incoming water to the quarry.

Part fencing works completed.

Ramp under construction.

Sludge removed from dewatered area.

Site grading works in progress.

Status of authorization under MSW Rules: 

Applied for authorization under MSW Rules on 07.01.04 and Authorization under MSW Rules was also issued on 23.06.04 and valid till construction & operation of the project.

Status:
The site was inspected by DPPC official on 27.06.08 along with official from MCD and Birla Technical Services and it was observed that progress with regard to development of landfill site is very slow.  As per brief note received from MCD some public hindrance also was encountered in the month of April, 2008.  However, it is expected that by the end of this financial year, operation in one cell will be started in parallel to remaining construction activity.    

Decision of Consent Management Committee (Orange) wrt cases of MSW Cell dated 19.01.2010:
Inspect and issue reminder if needed.

Action taken/ Status after the meeting held on 19.01.2010:
2. The unit was inspected by the officials of DPCC on 09.04.2010 and the observations are as under:

(iv) No work was in progress during the inspection and it was observed that the work was stopped since long.

(v) Algae bloom was found at the site due to the water collection at the site.

(vi) The fencing was found in some of the place\ partially fenced. 
Decision of Consent Management Committee (Orange) wrt cases of MSW Cell dated 20.04.2010:
MS, DPCC to take a meeting with DEMS, MCD.

Action taken/ Status after the meeting held on 20.4.2010:
· MS, DPCC took a meeting on 04.06.2010 as decided by CMC.

· Mr. J.P Bansal EE,  attended the meeting from MCD and informed that work has been stopped w.e.f September, 2008. Case is under consideration with arbitration. 
Decision of Consent Management Committee (Orange) wrt cases of MSW Cell dated 09.08.2010:
No action at present.
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Timarpur Okhla Waste Management Company Limited

Name of the agency: New Delhi Municipal Council. (M/s Timarpur-Okhla Waste Management Company Private Ltd).  
Particulars of the project: 

Setting up of integrated municipal waste complex at NDMC Plant Site.  Sukhdev Vihar, Okhla.  The capacity of the project would be 950 TPD beside 150 TPD green garbage.  The treatment / processing of the MSW would be based on DST-TIFAC technology of mixed MW to RDF/ Fluff preparation and bio gas generation from                         the organic waste.  The power generation would be 10MW. Cost of project is                                 Rs. 1742.62 million.  

Status of Consent: 

· Consent to establish under Air and Water Act has been issued on 03.07.07 and valid upto 09.05.08.

· Requested for extension of consent to establish for two year along with consent fee of Rs. 5200/- vide letter dated 01.07.08 after expiry of the consent.  No formal application submitted for extension of consent to establish under Air and Water Act.  

· The unit has submitted another letter on 17.07.08 with a request that the application was submitted earlier for extension of the consent to establish after the lapse of due date (i.e. expiry of consent to establish on 09.05.08), it is understood that a fine of Rs.2600/- is payable.  They have requested that this additional amount may be adjusted from DD No. 357265 dated 30.06.08 for Rs.5200/- for Timarpur project vide letter dated 01.07.08 wherein only Rs.2600/- is payable to DPCC.
· Copy of Share Transfer Agreement between IL&FS Infrastructure Development Corporation Limited, Jindal Urban Infrastructure Ltd & Timapur Okhla Waste Management Company Pvt. Ltd.  is also enclosed with letter dated 17.07.08.
Status of authorization under MSW Rules: 

Authorization under MSW Rules was issued on 09.03.07 and valid upto 08.03.09.

 Decision of Consent Management Committee (Orange) wrt cases of MSW Cell dated 19.01.2010:
Issue a letter to the unit to apply for CTO 1 month before commissioning of the plant, without waiting for minutes.
Action taken/ Status after the meeting held on 19.01.2010:
2. A letter asking the unit to apply for CTO 1 month before commissioning of the plant issued on 21.01.2010.
Decision of Consent Management Committee (Orange) wrt cases of MSW Cell dated 20.04.2010:
· No Action.

· Case related to Municipal Solid Waste Complex of Timarpur also has been clubbed by CMC in its meeting held on 20.04.2010

· This project of Okhla Timarpur waste facility has been inaugurated by Hon’ble CM on 28.06.2010.

Decision of Consent Management Committee (Orange) wrt cases of MSW Cell dated 09.08.2010:
No action
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IL&FS Compost Plant at Okhla

Name of the agency: Municipal Corporation of Delhi, O/o the Engineer in Chief, Town Hall, Delhi-6

Particulars of the project: 

Revival of the Compost Plant of Municipal Corporation of Delhi at Okhla, Delhi (The compost plant at Okhla is existing plant of MCD which stopped operation in 1994 and MCD now has handed over this plant to IL & FS for revival of up gradation).   

Status of Consent: 

Consent to establish has been issued on 29.01.08.
The unit has applied for consent to operate on 21.01.09, CTO issued on 20.01.2010, valid up to 20.01.2012. 

Status of authorization under MSW Rules: 

Applied for authorization for setting up and operation of waste processing facility on 20/11/07 (C/1 to 67), Authorization under MSW Rules issued on 04.02.2010, valid up to 03.02.2012.
Details of the project: 

Processing technology is composting through open
air aerobic window composting method.

Quantity of waste to be processed is 200 TPD.

Investment on the project is Rs.6.2 crores.

Quantity of waste to be disposed per day is 40 TPD.

Plot Area is 29000 sq m and Built up area- 4000 sq m 

Sanctioned Power Load – 280 KW

Revival period the compost plant will be start on 1 March, 2008.

Water consumption for domestic is 2000LPD &  for processing  is  20,000 LPD

Quantity of domestic waste generated is 1500 LPD and leach ate to be recycled in composition process

100 KVA DG Set proposed to be installed.

Concession Agreement between MCD and IL & FS is placed at (C/71 to 103).

Decision of Consent Management Committee (Orange) wrt cases of MSW Cell dated 19.01.2010:
Issue CTO and issue letter to AAI seeking their views giving final 15 days without waiting for minutes. Even if the reply/views are not received within 15 days, put up the file administratively for decision.
Action taken/ Status after the meeting held on 19.01.2010:
5. CTO issued on 20.01.2010, valid up to 20.01.2012.

6. NOC of AAI received from the unit on 22.01.2010.

7. Authorization under MSW Rules issued on 04.02.2010, valid up to 03.02.2012.

Decision of Consent Management Committee (Orange) wrt cases of MSW Cell dated 20.04.2010:
No Action.

Decision of Consent Management Committee (Orange) wrt cases of MSW Cell dated 09.08.2010:
No action
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Compost Plant at Tikri Khurd/ Khampur
Name of the agency: M/s Spiral Services, New Sabzi Mandi, Azad Pur, Delhi
Particulars of the project: 

Up-gradation of the A.P.M.C. Compost Plant at Tikri Khurd/ Khampur, G.T. Karnal Road, Delhi-40 (Existing plant inaugurated by Delhi C.M. on 17.01.02)
Status of Consent: 

· Consent to establish has been issued on 29.01.08. 

· Applied for consent to operate on 04.03.08, Consent to Operate issued on 20.01.2010, valid up to 03.03.2011.
Status of authorization under MSW Rules: 

Applied for authorization for setting up and operation of waste processing facility on 20/11/07 (C/1-27 and C/30-34), Authorization under MSW Rules 2000 issued on 25.01.2010, valid up to 24.01.2012.
Details of the project: 

Processing technology is composting through open air aerobic window composting method.

Quantity of waste to be processed is 200 TPD.

Investment on the project is Rs.1.6 crores.

Quantity of waste to be disposed per day is 30 TPD.

Plot Area is 24000 sq m.

Built up area- 1000 sq m

Sanctioned Power Load – 5 KV

Proposed to be commissioned from March, 2008 (earlier unit exist since 17.01.02).

Water consumption for domestic is 1440 LPD &  for processing  is  5000 LPD

Quantity of domestic waste generated is 1000 LPD & having 2 septic tanks and leach ate to be recycled in composition process.

No DG Set proposed to be installed.

Agreement between APMC and Spiral Services is placed at (C-/3 to 11).

Status:

· Applied for consent to operate under Orange category on 04.03.08. 

· Views/ Comments/ NOC were received only from Town and Country Planning Organization, Ministry of U.D. (C/44- 45) asked before issued of authorization under MSW, Rules. Views/ Comments/ NOC are still awaited from Air Force, DDA and Central Ground Water Board.
Decision of Consent Management Committee (Orange) wrt cases of MSW Cell dated 19.01.2010:
Issue consent to operate and Authorization under MSW Rules, without waiting for minutes. 

Action taken/ Status after the meeting held on 19.01.2010:
3. Consent to Operate issued on 20.01.2010, valid up to 03.03.2011.

4. Authorization under MSW Rules 2000 issued on 25.01.2010, valid up to 24.01.2012.
Decision of Consent Management Committee (Orange) wrt cases of MSW Cell dated 20.04.2010:
No Action.

Decision of Consent Management Committee (Orange) wrt cases of MSW Cell dated 09.08.2010:

Inspect and report.
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Compost Plant of Municipal Corporation of Delhi at By Pass, Bhalswa, Delhi
Name of the agency: Nature Waste Management India Pvt. Ltd. MCD Compost Plant, G. T. Karnal Road, By Pass, Bhalswa, Delhi-110042

Status of Consent: 

Applied for Consent to establish under Green category on 26.09.08 & Consent to Establish under Orange Category on 05.12.08, CTE issued on 20.01.2010, valid up to 19.01.2011. 
Applied for Consent to Operate under Orange Category on 27.10.09, CTO issued on 20.01.2010, valid up to 26.10.2012.

Status of authorization under MSW Rules: 

Applied for authorization under MSW Rules on 27.03.09, Authorization issued on 21.01.2010, valid up to 20.01.2012.
Particulars of the project: 

Compost Plant of Municipal Corporation of Delhi at G. T. Karnal Road, By Pass, Bhalswa, Delhi-110042

Details of the project: 

k. Processing technology is composting through open air aerobic by Excel Technology.

l. Quantity of waste to be processed is 600 TPD.

m. Investment on the project is Rs.10 Crores.

n. Plot Area is 48552 sq m and Built up area- 16000 sq m 

o. Sanctioned Power Load – 125 KVA (K.No. 451099026136)

p. Water consumption for domestic is 500 LPD &  for processing  is 1,000 LPD (In summer months 3,000 LPD).

q. Quantity of domestic waste generated is Nil.

r. No trade effluent generated.  Only effluent from the rain water-re circulated to the waste heap.  

s. 82.5 KVA DG Set installed which is without acoustic enclosure and proper stack height. 

t. Agreement for sub-contractor is placed at (C/1-25).

Decision of Consent Management Committee (MSW) its meeting dated 12.05.2009:
Noise monitoring report to be submitted and apply for CTO.
Action taken/ Status after the meeting held on 12.05.09:
· A letter issued to the unit on 22.05.09 for Noise Monitoring Report and Consent to Operate.

· Applied for Consent to Operate under Orange Category alongwith Noise Monitoring Report on 27.10.09. 

Decision of Consent Management Committee (Orange) wrt cases of MSW Cell dated 19.01.2010:
Issue consent to establish, consent to operate and authorization under MSW Rules, 2000, without waiting for minutes.
Action taken/ Status after the meeting held on 19.01.2010:
4. Consent to Establish under Air and Water Acts issued on 20.01.2010, valid up to 19.01.2011.

5. Consent to Operate under Air and Water Acts issued on 20.01.2010, valid up to 26.10.2012.

6. Authorization under MSW Rules 2000 issued on 21.01.2010, valid up to 20.01.2012.
Decision of Consent Management Committee (Orange) wrt cases of MSW Cell dated 20.04.2010:
No Action.

Decision of Consent Management Committee (Orange) wrt cases of MSW Cell dated 09.08.2010:
Expedite Inspect and report.
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Wholesale Flower market at IFC, Ghazipur, NH-24, New Delhi
Name of the agency: M/s Delhi Agriculture Marketing Board, 9, Institutional Area, Pankha Road, Janakpuri, New Delhi-110058.
Particulars of the project: Setting up Wholesale Flower market at IFC, Ghazipur, NH24, New Delhi.

Status of Consent: 

Applied for consent to establish under Air & Water Acts vided ID. No. 27420 dt. 19.09.08, Consent to Establish issued on 09.02.2010, valid up to 07.02.2011.
Details of the project: 

o. Proposed activities is setting up wholesale flower market and multilevel parking. 

p. Proposed Investment on the project is Rs.116.89 crores.

q. Total Plot Area is 150866.22 sq m
r. Built up area- 103049.84 sq m.
s. Sanctioned Power Load /power required– 4000 KW.
t. Proposed to be commissioned from December, 2008.

u. No of workers: 

a) During construction phase – 100 b) During operational phase-   25

v. Water consumption:

Domestic – 154.5 KLD, 
Industrial cooling - 52 KLD, 
processing   - 50 KLD,
Other (Gardening) – 108 KLD

w. Quantity of domestic waste generated is 136 KLD and Industrial is Nil.
x. Proposed Sewage Treatment Plant of 150 KLD with primary and secondary treatment and treated domestic effluent will be partly utilized for green belt, DG. Set and AC Cooling and rest will be discharge into sewerage system.

y. Sludge Generating from STP will be used as manure for gardening purpose/ Sold as per standard practices.

z. DG Sets proposed to be installed – 3 X 1250 KVA + 1 X 1650 KVA with acoustic enclosure.

aa. Perpetual lease by DDA for this land is enclosed.  
ab. As per application unit will be taken authorization under Hazardous Waste Rules for storage of hazardous waste (used oil from DG Set) during operational phase. 
Remarks:

As per the provisions of EIA notification dated 14.09.06 the following construction projects are to be required Environmental Clearance from MoEF:

Building and Construction Projects having built up area ≥ 20000 sqm and < 150000 sqm of built up area. 

Townships and Area Development Projects having covering an area ≥ 50 ha and or built up area ≥150000 sqm.   

Decision of Consent Management Committee (MSW) its meeting dated 05.12.2008:

Member Secretary, DPCC to write to VC, DAMB to seek immediate EIA clearance enclosing a copy of the EIA notification.  Meanwhile, an inspection may also be carried out based on the Consent to Establish.

Action taken/ Status after the meeting held on 05.12.08:

Letter issued on 29.12.08. As per letter dated 11.12.08 of the unit, they have applied for Environmental Clearance about two months back. They requested for EC as well as CTE at the earliest to enable to start the project & complete before Commonwealth Games.

The site of the unit was inspected on 07.01.09. Following are the observations:

d. No excavation/ construction activity has been started for this project.

e. As informed they are applying again for CTE and EC with revised proposal for flower, fruit and vegetable market.

f. w.r.t. fruit and vegetable market, construction of 8 blocks out of 12 blocks is almost completed.







  
Decision of Consent Management Committee (MSW) its meeting dated 23.01.2009:

Ask to apply for CTE for the revised project for Flowers, Fruit and Vegetable market.

Action taken/ Status after the meeting held on 23.01.09:
Letter issued to the unit on 19.02.09 and reminder on 05.05.09. Reply is still awaited. 

Decision of Consent Management Committee (MSW) its meeting dated 12.05.2009:

Member Secretary, DPCC to write Vice Chairman, Delhi Agriculture Marketing Board.

Action taken/ Status after the meeting held on 12.05.09:
Letter issued to the unit on 08.06.09 for fresh Consent to Establish for the revised project.

Revised application without enclosure for Consent to Establish alongwith Project Report and Affidavit received on 07.06.09. 
Decision of Consent Management Committee (Orange) wrt cases of MSW Cell dated 19.01.2010:
Issue Consent to establish.

Action taken/ Status after the meeting held on 19.01.2010:
2. Consent to Establish issued on 09.02.2010, valid up to 07.02.2011.
Decision of Consent Management Committee (Orange) wrt cases of MSW Cell dated 20.04.2010:
No Action.

Decision of Consent Management Committee (Orange) wrt cases of MSW Cell dated 09.08.2010:
Seek compliance affidavit on the conditions laid down in EC.
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Sanjay Motor Lorry,  E-13-B/120, J-Block , New Seelam Pur, Delhi

Name of the agency: Sanjay Motor Lorry, E-13-B/120,J-Block,New Seelam Pur, Delhi

Particulars of the project: Motor Lorry.
Status of authorization: Applied for Authorization for- A) Setting up & operation of waste processing and disposal facility and B) Setting up & operation of disposal facility.

Details of the Project:- 

Processing of Waste 

i.  Location of site 




D.L. F. Place, Vasant Kunj New Delhi.

ii.  Name of waste processing technology  
Handling only

iii.  Details of processing technology 

Not submitted 

iv. Quantity of waste to be processed 

per day 





One small Lorry

v.  Site clearance (from local authority)
E.E.S.L.F. office 

vi.  Details of agreement between municipal 

      authority and operating agency 

Applied for dumping 

vii.  Utilization programme for waste 

       processed (Product utilization)

Not submitted

viii.  Methodology for disposal of waste 

       processing rejects (quantity & quality) 
Handling & Dumping

ix.  Measures to be taken for prevention and 

      control of environment pollution 

Covered Lorry

x.  Investment on Project and expected 

     returns 





No. DL.I.R.O. 7332

xi.  Measures to be taken for safety of 

     workers working in the plant 

Not submitted 

Disposal of Waste

i.
Number of sites identified


Gazipur Dumping place

ii.
Layout maps of site 



Nil

iii.
Quantity of waste to be disposed per day
100 K.G. Per day 

iv.
Nature and composition of waste 
  
Polythine Bag & Plastic Battle & paper  

v.
Details of methodology or criteria 

followed for site selection 


Near to site 

vi.
Details of existing site under operation 
D.L.F. Palace Vasant Kunj N.D.

vii.
Methodology and operation details of 

landfilling





Fram Lorry 

viii.
Measures taken to check environmental

pollution 





Covered Lorry  

Remarks:
Detailed project report is not submitted by the applicant.

Decision of Consent Management Committee (MSW) its meeting dated 12.05.2009:

Ask the unit to file detailed project report.
Action taken/ Status after the meeting held on 12.05.09:
Letter issued to the unit on 22.05.09 to file detailed project report. 

Reply Awaited.

Decision of Consent Management Committee (Orange) wrt cases of MSW Cell dated 19.01.2010:
Issue reminder seeking CTE application and authorization along with required documents.
Action taken/ Status after the meeting held on 19.01.2010:
3. Reminder letter issued on 12.02.2010.

4. Reply not received.

Decision of Consent Management Committee (Orange) wrt cases of MSW Cell dated 20.04.2010:
Expedite the inspection and report.

Decision of Consent Management Committee (Orange) wrt cases of MSW Cell dated 09.08.2010:
Put up administratively.
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Bio-Tag, #281, MIG, Pocket- B, Sector-14, Dwarka, New Delhi-110078
Name of the agency: Bio-Tag, #281, MIG, Pocket- B, Sector-14, Dwarka, New Delhi- 110078
Particulars of the project: Composting.
Status of authorization: Applied for Authorization for- A) Setting up & operation of waste processing and disposal facility and B) Setting up & operation of disposal facility, on 08.03.2010.

Details of the Project:- 

Processing of Waste 

i.  Location of site 




Kakrola, New Delhi.

ii.  Name of waste processing technology  
Composting

iii.  Details of processing technology 

Submitted 

iv. Quantity of waste to be processed 

per day 





20 TPD

v.  Site clearance (from local authority)
N.A. 

vi.  Details of agreement between municipal 

      authority and operating agency 

N.A. 

vii.  Utilization programme for waste 

       processed (Product utilization)
the Compost generated will be at the plant sold at the market.

viii.  Methodology for disposal of waste 

       processing rejects (quantity & quality) Sent to Bhalsawa SLF.

ix.  Measures to be taken for prevention and 

      control of environment pollution 
The equipments as per CPCB, DPCC and MSW Rules will be installed as per requirement.

x.  Investment on Project and expected 

     returns 





2-3 lakhs

xi.  Measures to be taken for safety of 

     workers working in the plant 
Gloves, masks, safety shoes, helmets, safety against fire Hazards, electrical safety equipment.

Disposal of Waste

i.
Number of sites identified


Bhalsawa SLF

ii.
Layout maps of site 



Nil

iii.
Quantity of waste to be disposed per day
15-20 TPD 

iv.
Nature and composition of waste 
  
All inert materials

v.
Details of methodology or criteria 

followed for site selection 


N.A. 

vi.
Details of existing site under operation 
N.A.

vii.
Methodology and operation details of 

landfilling





N.A. 

viii.
Measures taken to check environmental

pollution 





N.A.  

Remarks:
Detailed project report is submitted by the applicant.

Decision of Consent Management Committee (Orange) wrt cases of MSW Cell dated 20.04.2010:
Issue a letter seeking application for Consent to Establish (CTE). 

Action taken/ Status after the meeting held on 20.04.2010:
· Application for Consent to Establish (CTE) under Water (prevention and control of pollution )Act, 1947 and under Air (Prevention and Control of Pollution)Act,1981 was received on 03.05.2010 from BIO-TAG.

· Application was found deficient in details of waste collection, transportation and disposal site.
Decision of Consent Management Committee (Orange) wrt cases of MSW Cell dated 09.08.2010:
Issue letter asking the applicant to provide missing details and submit the copies of agreements with MCD/DEMS for collection and disposal of MSW.

Chairman
M. S.
      Member        Prof. S.K Gupta
SEE
     EE
      AEE 

DPCC
DPCC    Env. Deptt.    Member (Acd. Inst)   
(MSW) MSWM Cell

Sanitary Landfill Site (Municipal Corporation of Delhi), Bhalaswa, New Delhi
Name of the agency: CSE Department, Municipal Corporation of Delhi.
Particulars of the project: Sanitary Landfill Site.
Status of authorization: Applied for Authorization for- B) Setting up & operation of disposal facility.

Details of the Project:- 

Processing of Waste 




N.A.

i.  Location of site 




 
ii.  Name of waste processing technology  


iii.  Details of processing technology 

 

iv. Quantity of waste to be processed 

per day 







v.  Site clearance (from local authority)
 

vi.  Details of agreement between municipal 

      authority and operating agency 

 

vii.  Utilization programme for waste 

       processed (Product utilization)


viii.  Methodology for disposal of waste 

       processing rejects (quantity & quality) 

ix.  Measures to be taken for prevention and 

      control of environment pollution 


x.  Investment on Project and expected 

     returns 







xi.  Measures to be taken for safety of 

     workers working in the plant 


Disposal of Waste






Authorization for existing/                                                                                  active S.L.F. Site- Bhalaswa.

i.
Number of sites identified




ii.
Layout maps of site 





iii.
Quantity of waste to be disposed per day
 

iv.
Nature and composition of waste 
  


v.
Details of methodology or criteria 

followed for site selection 


 

vi.
Details of existing site under operation 


vii.
Methodology and operation details of 

landfilling





 

viii.
Measures taken to check environmental

pollution 





  

Remarks:
Detailed project report is submitted by the applicant.
Decision of Consent Management Committee (Orange) wrt cases of MSW Cell dated 20.04.2010:
· Put up administratively.

· Case was put up administratively and subsequently decided to place the case in CMC.
Decision of Consent Management Committee (Orange) wrt cases of MSW Cell dated 09.08.2010:
Put up administratively.
Chairman
M. S.
      Member        Prof. S.K Gupta
SEE
     EE
      AEE 

DPCC
DPCC    Env. Deptt.    Member (Acd. Inst)   
(MSW) MSWM Cell


Sanitary Landfill Site (Municipal Corporation of Delhi), Ghazipur, New Delhi
Name of the agency: CSE Department, Municipal Corporation of Delhi.
Particulars of the project: Sanitary Landfill Site.
Status of authorization: Applied for Authorization for- B) Setting up & operation of disposal facility.

Details of the Project:- 

Processing of Waste 




N.A.

i.  Location of site 





ii.  Name of waste processing technology  


iii.  Details of processing technology 

 

iv. Quantity of waste to be processed 

per day 







v.  Site clearance (from local authority)
 

vi.  Details of agreement between municipal 

      authority and operating agency 

 

vii.  Utilization programme for waste 

       processed (Product utilization)


viii.  Methodology for disposal of waste 

       processing rejects (quantity & quality) 

ix.  Measures to be taken for prevention and 

      control of environment pollution 


x.  Investment on Project and expected 

     returns 







xi.  Measures to be taken for safety of 

     workers working in the plant 


Disposal of Waste






Authorization for existing/                                                                                  active S.L.F. Site- Ghazipur.

i.
Number of sites identified




ii.
Layout maps of site 





iii.
Quantity of waste to be disposed per day
 

iv.
Nature and composition of waste 
  


v.
Details of methodology or criteria 

followed for site selection 


 

vi.
Details of existing site under operation 


vii.
Methodology and operation details of 

landfilling





 

viii.
Measures taken to check environmental

pollution 





  

Remarks:
Detailed project report is submitted by the applicant.

Decision of Consent Management Committee (Orange) wrt cases of MSW Cell dated 20.04.2010:
· Put up administratively.

· Case was put up administratively and subsequently decided to place the case in CMC.

Decision of Consent Management Committee (Orange) wrt cases of MSW Cell dated 09.08.2010:
Put up administratively.
Chairman
M. S.
      Member        Prof. S.K Gupta
SEE
     EE
      AEE 

DPCC
DPCC    Env. Deptt.    Member (Acd. Inst)   
(MSW) MSWM Cell


Sanitary Landfill Site (Municipal Corporation of Delhi), Okhla, Phase-I, New Delhi
Name of the agency: CSE Department, Municipal Corporation of Delhi.
Particulars of the project: Sanitary Landfill Site.
Status of authorization: Applied for Authorization for- B) Setting up & operation of disposal facility.

Details of the Project:- 

Processing of Waste 




N.A.

i.  Location of site 





ii.  Name of waste processing technology  


iii.  Details of processing technology 

 

iv. Quantity of waste to be processed 

per day 







v.  Site clearance (from local authority)
 

vi.  Details of agreement between municipal 

      authority and operating agency 

 

vii.  Utilization programme for waste 

       processed (Product utilization)


viii.  Methodology for disposal of waste 

       processing rejects (quantity & quality) 

ix.  Measures to be taken for prevention and 

      control of environment pollution 


x.  Investment on Project and expected 

     returns 







xi.  Measures to be taken for safety of 

     workers working in the plant 


Disposal of Waste






Authorization for existing/                                                                                  active S.L.F. Site- Okhla.

i.
Number of sites identified




ii.
Layout maps of site 





iii.
Quantity of waste to be disposed per day
 

iv.
Nature and composition of waste 
  


v.
Details of methodology or criteria 

followed for site selection 


 

vi.
Details of existing site under operation 


vii.
Methodology and operation details of 

landfilling





 

viii.
Measures taken to check environmental

pollution 





  

Remarks:
Detailed project report is submitted by the applicant.

Decision of Consent Management Committee (Orange) wrt cases of MSW Cell dated 20.04.2010:
· Put up administratively.

· Case was put up administratively and subsequently decided to place the case in CMC.
Decision of Consent Management Committee (Orange) wrt cases of MSW Cell dated 09.08.2010:
Put up administratively.
Chairman
M. S.
      Member        Prof. S.K Gupta
SEE
     EE
      AEE 

DPCC
DPCC    Env. Deptt.    Member (Acd. Inst)   
(MSW) MSWM Cell

Integrated Municipal Solid Waste Management Facility at Bawana- Narela

Name of the agency: Delhi MSW Solutions Ltd. (a Ramky Group Venture) 

Particulars of the project: Composting.
Status of Consent: Not applied for Consent under Air and Water Acts.

Status of authorization: Not Applied for Authorization under MSW Rules, 2000. 

Remarks:
Delhi MSW Solutions Ltd. (a Ramky Group Venture) has made a request for conducting public hearing for the proposed site for Integrated Municipal Solid Waste Management Facility at Bawana- Narela, Delhi. The public hearing has been scheduled on 14.05.2010.
The unit has not applied for Consent under Air and Water Acts and Authorization under MSW Rules 2000, till date.

Decision of Consent Management Committee (Orange) wrt cases of MSW Cell dated 20.04.2010:
No Action.

Decision of Consent Management Committee (Orange) wrt cases of MSW Cell dated 09.08.2010:
Seek application for CTE.

Chairman
M. S.
      Member        Prof. S.K Gupta
SEE
     EE
      AEE 

DPCC
DPCC    Env. Deptt.    Member (Acd. Inst)   
(MSW) MSWM Cell

