## Annexure II(CTO CMC)(08.05.14)
S.No. | Name of the Unit | Address of the Unit | Date of Application | Application ID No. | Category | Activity / Product | Consent Status | Authorization Status | Brief of the Case | Decisions taken in Previous Meeting | Action Taken w.r.t Decisions of Previous Meeting | Remarks | Decisions taken by the Committee on 08.05.2014
1 | Bentex Control & Switchgear Co. | B-63-65/3, Naraina Industrial Area, Phase-No. II, Delhi-28. | 03.09.2010 | 35022 | Orange Operate | Manufacturing of Electrical Items & Motor Startar | Applied | Applied on 09.12.10 | Commencement of Production 1984 CTE - Granted. Total Plot Area - 2023.7 Sq mt, Builtup Area - 7120.60 Sq Mt,Water Consumption - 9100 ltr/Day, Ground Water - 9100ltr/day, Waste Water Generation - 8000 ltr/Day ,Domestic Effluent- 6000 ltr/Day, Trade Effluent - 2000 Ltr/Day, ETP (installed, capacity in 800ltr/day, of GSSIPU dated 23.12.2009, Effluent Analysis Report submitted dated 16.07.2010 & found within limit , (2Stack connected to coating booth(A)Stack monitoring report dated 24-08-2010 issued by DPCC submitted. Stack Test Report within Limit.(3)D.G.Set Noise Report :(a) The unit has 2 D.G. Set(s) of 250 KVA and one of 320 KVA. Noise monitoring report dated 24-02-2011 issued by DPCC submitted and found within limit. Earler Inspection was conducted on 16.11.2012.and Fugitive Emission observed from electri ovens(4 Nos. ) used for baking of powder coated parts as unit had not provided stacks with the overns.No Chennalization provided for emission generated from the electroplating activity. HW not found stored in leak prof container.Reply received from the unit and was put up and an inspection was carried out and deficiencies were observed and letter for deficiencies was issued .After getting the reply another inspection was conducted on 08.05.2013 and following were observed:1) ETP found installed and operational. Dry, semi wet and wet sludge found.2) Stacks with electric oven provided however are below the roof level and inadequate.3) Channelization system for process emissions from electroplating provided but inadeqaute as stack height is upto roof level of electroplating area.4) Hazardous Waste stored in plastic leak proof container and also in plastic knitted bags . Unit had submitted its reply on 03.04.2013 along with the photoraphs o+J5f stack provided with ovens , channelization for emission generated from electroplating unit and Hazardous waste leak proof containers. Inspection carried out on 08.05.2013 and deficiences observed and SCN for refusal of consent & authorisation and also for closure issued on 10.06.13.File was put up administratively and action taken as decided in the file. Reply received from the unit on 22.07.13 & 01.08.13 informing that they have increased stack height connected to oven and channelization system of electroplating section . Unit has also submitted stack monitoring report which shows meeting the prescribed standards. Provided plastic drums for storage of Hazardous waste. It was decided in the last meeting dated 25.09.2013 that "Ask to apply a fresh for Consent to Operate since period of 3 years are already over w.r.t application dated 03.09.10." Letter issued on 20.12.2013 seeking fresh application for Consent to Operate with in 15 days. The unit has not applied afresh so far however informed that it will apply soon. | Decision taken on 29.01.14 : After the receipt of fresh application for Consent to Operate, application dated 03.09.2010 be made Infructuous. | As decided in file inspection is to be carried out. | Fresh application for Consent to Operate has not been received from the unit so far. | Inspect the unit for its present status of compliance. Also unit be asked to submit copy of the permission from Delhi Jal Board for drawl / extraction of Ground Water within 3 months with copy to DJB & concerned DC(Revenue).
2 | The Lalit New Delhi (A unit of Bharat Hotel Ltd.) | Barakhamba Avenue, Connaught Place, Delhi-01 | 28.09.2012 | 2756 | Orange (Renewal) | Five Star Hotel | Applied for Consent to Operate ( Renewal) | NA | Commencement of Production 22.01.1981CTE -Not Applicable since Consent (Renewal ) issued in the past. Total Plot Area-24072.8 sq. meter, Builtup Area-13240.05 sq. meter, Water Consumption-500 KLD, Ground Water- 400 KLD, Waste Water Generation- 450 KLD , Domestic Effluent-235 KLD, Trade Effluent-215 KLD,ETP (installed, capacity is 250 KLD ) & adequate as per the Adequacy Report submitted dated 10.09.2012 , Effluent Analysis Report submitted dated 11.09.2012 & found within limit, Noise Monitoring Report for 5 DG Sets of 500 KVA, 3X1000 KVA & 1250 KVA dated 10.09.2012 submitted and found as per the prescribed norms (Acoustic Enclosure with Adequate stack height Provided ). Stack Monitoring Reports of 4 D.G. Sets and 2 boilers dated 10.09.2012 submitted . As decided in the meeting on 19.11.2012 , inspection was conducted on 20.12.12 and various deficiencies were observed. As decided fresh inspection of the hotel was conducted by a team on 01.08.2013 and deficiencies were observed. Based on the observations Show Cause Notice issued on 12.02.2013. Hotel submitted its reply / represntations w.r.t Show Cause Notice on 01.03.2013 and 05.03.2013 and informed that STP Shall be provided and rest of the things will be done as required in time bound manner and also submittedcan affidavit in this regard. Modified Directions u/s 31(A) of Air Act & u/s 33(A) of Water Act, ratified by the Committee. Inspection after 30th Sept, 2013. Modified Directions u/s 33(A) & 31 (A) issied on 27.09.2013. A reply its submitted on 07.10.2013 but not satisfactory. An inspection was conduted on 23.10.2013. Direction issued on 14.11.2013. Unit submitted Bank Gaurantee(1.2 Crore) on 18.11.2013. Temporary Revocation issued on 22.11.2013 for 3 months.Unit had submitted Analysis Report on 0612.2013& Progress report for compliance of DPCC norms as per Directions of Green Hotel Guidelines (with Photo Graphs). | Decision taken on 29.01.14 : Case Deffered | After getting the representations from the Hotel Temporary Revocation of Closure Directions has been exteneded uoto 31.05.2014.. |  | Hotel be asked to submit copy of the permission from NDMC for drawl / extraction of Ground Water within 3 months with copy to NDMC & concerned DC(Revenue).
3 | Claridges Hotels Pvt. Ltd. | 12, Aurangzeb Road, New Delhi-01 | 06.12.2012 | 3145 | Orange (Renewal) | Five Star Hotel | Applied for Consent to Operate ( Renewal) | NA | Commencement of Production 01.01.1959Total Plot Area-4003.78 sq. meter, Builtup Area-11896.747 sq. meter, Water Consumption- 250 KLD, Ground Water- 235KLD, Waste Water Generation- 230 KLD , Domestic Effluent- 130 KLD, Trade Effluent-100.2 KLD, ETP (installed, capacity is 100 KLD ) & adequate as per the Adequacy Report submitted dated 19.08.2008, Effluent Analysis Report submitted dated 05.12.2012 & found within limit, The unit has 2 D.G. Set(s) of 1000 KVA and 1000 KVA. Noise monitoring report dated 29-11-2012 issued by DPCC submitted and within limit. Unit installed 2 scrubber over the DG sets of 1000 KVA each and submitted Flue Gases Analysis Report of each DG set dated 26-11-2012 issued by DTU and found within Limit. Unit has one Gas Fired boiler using PNG as fuel and submitted Stack monitoring report dated 30-11-2012 issued by DPCC and found within Limit. The inspection conducted on 02.04.2013 and deficiencies were observed. As decided SCN for refusal of Consent and u/s 31(A) of the Air Act & 33(A) of the Water Act issued on 16.4.2013. Hotel submitted its point wise reply on 29.04.2013 however reply found not satisfactory.Vide Committee decision dated 05.07.2013, Inspection was conducted by a team of DPCC officials alongwith Dr. Anil Kumar, Director Environment on 02.08.2013. An improvement over the past inspection deficiencies is observed and also the pH was checked which was found within the prescribed limit. During inspection compliance wrt Green Hotel Guidelines particularly points mentioned in MoU also checked for which Hotel did produce the progress report regarding order placed for installation of Solar Water Heating System, Organic Waste Converter and Hotel reported that things also have been finalized for STP installation with a capacity of 250 KLD. The matter was put up administratively and as decided Modified Directions are to be issued . Modified Directions u/s 31(A) of Air Act & u/s 33(A) of Water Act was issued to the Hotel on 11.10.2013. In response to the Modified Directions, the Hotel submitted its reply on 30.10.2013 stating that they have installed a wet scrubber with DG Sets with adequate stack height. Installation of STP of 120 KLD is in progress, Compliance report of MoU has been submitted and deficiencies observed during inspection have been rectified. | Decision taken on 29.01.14 : Inspection be carried out. | Inspection was carried out on 02.05.2014 and STP found commissioned however Adequacy & Effluent Analysis Report is yet to be submitted. Pipelines are yet to be provided for use of treated effluent. Flow meters are yet to be installed.Solar Water Heating System, Rain Water Harvesting System provided. For Organic Waste Convertor order has been placed & will be provided within one month. Having 3 Borewell for Ground Water extraction. |  | Case Deferred. Details to be taken as in other cases i.e.permission of NDMC / DC taken or not.
4 | Vardhman Land Developers Pvt. Ltd. / Pushpanjali Promoters Pvt. Ltd, | "TDI Mall" Plot No-11, Shivaji Place, District Centre, Raja Garden, New Delhi-27 | 06.03.2013 (Also applied for CTO on 10.12.2009) | 3715 | Orange (Operate) | Shopping cum Business Complex | Applied for Consent to Establish & Operate | NA | Commencement of Production 18.02.2008, CTE : Applied on 12.12.2007 , Total Plot Area- 5112 sq. meter, Builtup Area - 18751.134 sq. meter, Water Consumption - 75 KLD from Ground Water/Tanker Waste Water Generation - 55 KLD , Domestic Effluent - 20 KLD, Trade Effluent - 35 KLD, STP (installed, capacity is 85 KLD ) & adequate as per the Adequacy Report of Delhi Technological University. Dated 08.02.2013 , Effluent Analysis Report of Delhi Technological University.dated 08.02.2013submitted & found within limit, Noise Monitoring Reports of Delhi Technological University.dated 28.12.12. for 4 DG Set of 2X625 KVA, 500 KVA & 380 KVA, submitted , Acoustic Enclosure Provided . The inspection was conducted on 10.05.2013 and following were observed : 1) The commercial building found operational and TDI given contract to Cannes Pvt. Ltd for operation and maintenance. 2)Source of water supply is through bore well. No permission/ Registration has been obtained. 3) STP found installed at 1st basement and found non operational at the time of inspection. Holding tank also installed at 1st basement and no waste water flow seen in the holding tank. Unit was discharging effluent without any treatment into sewer. 4) No flow meter found installed for the STP.5) Hood and suction arrangement provided in kitchen & Restaurant are inadeqaute as stack below roof top.6) Four D.G. Sets installed with acoustic enclosure and inadeqaute stack height. 7. Rain Water Harvesting Pit could not be shown. SCN for refusal of consent and closure issued u/s 33(A) of Water Act, 1974 & 31(A) of Air Act, 1981 on 11.6.2013 Unit has submitted reply w.r.t SCN u/s 31 (A) of the Air Act and u/s 33 (A) of the Water Acts on 01.07.2013. File put up administratively and as per approval on file Modified Directions issued on 02.09.2013 for rectification of deficiencies observed during inspection on 10.05.2013 with in 45 days and a letter issued to DJB and DC (West) for taking necessary action w.r.t. extraction of ground water. CTE is also to be decided. Cash penalty of Rs. 40 Lakhs and BG of Rs. 85 Lakhs were asked by DPCC , however not deposited by the unit. The unit had gone to the court and the Hon’ble Court has directed DPCC not to take any coercive action pursuant towards recovering any amount to be determined under Law, on 27.01.2009. Compliance has been received w.r.t Modified Directions issued to the unit vide representations dated 17.10.2013, 25.10.2013 and 13.11.2013. | Decision taken on 29.01.14 : Case Deffered | As decided in file, inspection is to be carried out. | A letter was issued on 02.09.13 to DC (West)& DJB for taking n.a w.r.t Groun water extraction. Reply dated 03.10.13 received from DJB informing that the unit has not taken permission from DJB and the matter has been forwarded to SDM for taking n.a. The unit has informed that it had earlier applied to CGWA for Borewell. | Inspection be carried out.
5 | Ess Cee Cee & Associates (India) Pvt. Ltd | TDI Paragoan Plot No-2, Shivaji Place, District Centre, Raja Garden, Delhi -27 | 06.03.2013 (Also Applied for CTO on 10.12.2009) | 3716 | Orange (Operate) | Shopping cum Multiplex Complex | Applied for Consent to Establish & Operate | NA | Commencement of Production 25.02.2008, CTE : Applied on 12.12.2007 , Total Plot Area- 5494.27 sq. meter, Builtup Area- 15890.41 sq. meter, Water Consumption - 65 KLD from Ground Water/ Tanker Waste Water Generation - 45 KLD , Domestic Effluent- 13.5 KLD, Trade Effluent-31.5 KLD, STP (installed, capacity is 50 KLD ) & adequate as per the Adequacy Reort of Delhi Techonological University Dated 08.02.2013 . Effluent Analysis Report of Delhi Techonological University Dated 08.02.2013 submitted & found within limit, Noise Monitoring Reports of Delhi Techonological University Dated 28.12.12 for 4 DG Set of 3X500 KVA & 250 KVA, submitted and found as per the prescribed norms (Acoustic Enclosure with Adequate stack height Provided ). The inspection was conducted on 10.05.2013 and following were observed: 1) The multiplex-cum Retail mall found operational and given to Cannes Pvt. Ltd on contract for operation and maintenance. 2)Source of water supply is through bore well. No permission/ Registration has been obtained. 3) STP is of Mild Steel Sheets , found installed at Basement and found operational with foul smell. Most of the portion found rusted ifrom inside and also found broken at some places. Semi wet sludge found in filter press. 4) No flow meter found installed for the STP. 5) Hood and suction arrangement provided in kitchen & Restaurant are inadeqaute as stack below roof top. 6) As reported presently waste water generation is 10-12 KLD and treated water is used in gardening. 7. Rain water Harvesting System could not be shown. SCN for refusal of consent and closure issued u/s 33(A) of Water Act, 1974 & 31(A) of Air Act, 1981 on 11.6.2013 Unit has submitted reply w.r.t SCN u/s 31 (A) of the Air Act and u/s 33 (A) of the Water Acts on 01.07.2013. File put up administratively and as per approval on file Modified Directions issued on 02.09.2013 for rectification of the deficiencies observed during inspection on 10.05.2013 with in 45 days and a letter issued to DJB and DC (West) to take necessary action w.r.t. extraction of ground water. CTE is also to be decided. Cash penalty of Rs. 20 Lakhs and BG of Rs. 1 crores were asked by DPCC , however not deposited by the unit. The unit had gone to the court and the Hon’ble Court has stayed the order of DPCC for paying damages and BG on 28.01.09. The unit has submitted compliance report w.r.t Modified Directions issued to the unit. They have submitted representations informing that they have rectified deficiencies with regard to STP, Flow meter has been installed, they have applied for permission for borewell extraction and till then they wont extract the groundwater, Hood suction & Solar panel installation is in progress. Also, they have submitted the Adequacy Report and effluent analysis report. | Decision taken on 29.01.14 : Case Deffered |  | A letter was issued on 02.09.13 to DC (West)& DJB for taking n.a w.r.t Groun water extraction. Reply dated 03.10.13 received from DJB informing that the unit has not taken permission from DJB and the matter has been forwarded to SDM for taking n.a. The unit has informed that it had earlier applied to CGWA for Borewell. | Inspection be carried out.
6 | Vivanta by Taj Ambassador | Sujan Singh Park ,New Delhi-03 | 08.07.2013 | 4784 | Orange (Renewal) | Five Star Hotel | Applied | NA | Water Consumption- 80 - 100 KLD. (Application form) and 130-140 KLD (Adequacy report) and the source of water supply is 50-60 KLD from NDMC and 30-40 KLD from Ground.STP (125 KLD)- Bio-logical (a) Adequacy Report Dated 28.11.2012 issued by Delhi Technological University submitted. (b) Effluent analysis report dated 10-04-2013 issued by DPCC submitted. Effluent Test Report within Limit (c) Stack monitoring report dated 22-05-2013 issued by DPCC submitted. Stack Test Report within Limit. (d) The Hotel has 3 D.G. Set(s) of 750 , 500 & 380 KVA. Noise monitoring report dated 24.05.2013 issued by DPCC submitted and found within Limit. Hotel was inspected on 13.11.2013 and deficiencies were observed. The unit was issued SCN u/s 33 (A) of water Act for deficiencies observed on 13.11.2013.The unit submitted its reply on 09.12.2013 stating that they have stoppped the bypass, repaired the blowers etc, repaire the pit, solar water heating system is functional, hotel is having an agreement with NGO Chintan which is an authorized agency of NDMC. The Hotel was again inspected by DPCC officials on 17.01.2014 and following were observed: Hotel is having a biological STP of capacity 125 KLD. The units of the STP i.e Oil and grease tank, equalization tank etc are not cleaned and were found stinking during inspection.The aeration tank found non- operational. The clarifier and tube settling tank found choked and non- functional.The solar water heating system exists.Having 1 Rain Water Harvesting pit.Flowmeter is installed at the outlet of STP only and i.e even not functional.STP units namely FAB Reactor, blowers and clarifier are not found in working condition.Filter press found in working condition. An arrangement of Bypass discharge has been removed, the pipeline for the same has been disconnected. Show Cuase Notice was issued for the deficiencies observed during inspection . Reply received w.r.t rectification of deficiencies and the Hotel has been again inspected on 17.01.2014. Directions for Closure etc. u/s 33(A) of Water Act has been issued to the Hotel on 09.04.2014. Reply received from the unit on 21.04.2014 regarding rectification of all the deficiencies observed during inspection and thus requested to revoke the Closure Directions. | Decision taken on 29.01.14 : Issue Directions for Closure etc. u/s 33(A) of Water Act for the deficiencies observed during inspection on 17.01.2014. | Directions for Closure etc. u/s 33(A) of Water Act issued on 09.04.14 and after receiving the representations from the Hotel, the same has been Temporarily revoked on 05.05.2014 for 45 Days. |  | Hotel be asked to submit copy of the permission from NDMC for drawl / extraction of Ground Water within 3 months with copy to NDMC & concerned DC(Revenue).
7 | Hotel Samrat | 50-B Kautilya Marg Chankya Puri ,New Delhi | 12.07.2013 | 4816 | Orange (Renewal) | Five Star Hotel | Applied for Consent to Operate ( Renewal) | NA | Water Consumption- 160 KLD and source NDMC, 70-80 KLD (as per Adequacy Report). ETP (60 KLD) Biological (a) Adequacy Report Dated 12.06.2013 issued by DTU submitted. (b) Effluent Analysis report Dated 12-06-2013 issued by Delhi Technological University submitted. Effluent Test Report within Limit - yes . Stack monitoring report dated 11-07-2013 issued by DPCC submitted. Stack Test Report within Limit - Yes. The unit has 2 D.G. Set(s) of 570 KVA and 1510 KVA. Noise monitoring report dated 09-07-2013 issued by DPCC submitted. Noise monitoring report within Limit - Yes. Hotel was inspected and a Show Cuase Notice was issued to the Hotel for the deficiencies observed. The hotel has submitted its reply on 26.12.2013 w.r.t Show Cause Notice issued on 11.12.2013 and as decided another inspection was carried out on 05.05.2014. ETP was not found operational. Organic Waste Convertor has been procured however yet to be commissioned. SWHS is proposed to be installed however conditions imposed by the PM Security are to be followed. RWHS provided. Pipeline for carrying the Sewage from Samrat hotel to Ashoka Hotel Sump well has been provided. Waste water through ETP( of Kitchen) is also being discharged into sump of Ashoka Hotel. In place of Old DG Set of 1500 KVA a new one of 1500 KVA has been procured and found under installation. It is yet to be commissioned. | Decision taken on 29.01.14 : Inspection be carried out as decided on file. | Inspection was carried out on 05.05.2014 and ETP was not found operational. Organic Waste Convertor has been procured however yet to be commissioned. |  | Hotel be directed to ensure that all the waste water generated from its premises is conveyed and treated in the STP of the Ashok Hotel & an Affidavit be asked in this regard. For other things hotel to submit time bound action plan. Hotel be also asked to submit permission from NDMC for drawl / extraction of Ground Water within 3 months with copy to NDMC & concerned DC
8 | Eros Hotel (Managed by Hilton) | Nehru Place, Delhi -19. | 19.07.2013 | 4875 | Orange / Renewal | Five Star Hotel | Applied for Consent to Operate(Renewal) | NA | Commencement of Production……..01-12-1996, CTE…. Not applied, Total Plot Area (in sq. meter)……13656.63, Builtup Area (in sq. meter)….19303.45, Water Consumption (KLD)…..475, Ground Water (in KLD)…..350, Waste Water Generation (KLD)…..190, Domestic Effluent (KLD)….65, Trade Effluent (KLD)…..125, ETP (installed, Capacity in KLD….150) & adequate as per the Adequacy Report dated July, 2010 issued GGSIPU submitted. Effluent Analysis Report dated 09.07.13 issued by DPCC submitted and all the parameters are within the limits, Stack Monitoring Report of powder coating unit dated 04.07.2013 issued by DPCC submitted and found within limit,Noise Monitoring Report for D.G. Set(s) 1000 x2 KVA & 1250 KVA dated 03.07.2013 issued by DPCC submitted and found as per the prescribed norms. Inspection was carried out on 20.12.2013 and following were observed:- 1. The Hotel yet to start work for installation of STP. Neither civil nor mechanical or excration work started till date. 2. The hotel has installed two solar hot water heating systems having capacity (cumulative) 1750 + 1250 = (3000LPD). 3. Organic waste converter for compositing of organic waste is yet to be installed. 4. The hotel has provided four nos. Rain Water Harvesting Systems pits. 5. The hotel yet to convert their boilers from oil fired to natural gas fired boiler. 6. Presently ETP of 150KLD capacity is installed for waste water effluent from laundary & Kitchen which is found in operation. | Decision on 29.01.2014:- Issue Show Cause Notice for Refusal and for Closure etc. in view of the deficiencies observed during Inspection.. | Show Cause Notice for Refusal and Closure were issued on 19.02.2014. Reply received on 05.03.2014 informing that the work is under process of STP, Organic Waste Convertor and Natural Gas Based Boiler. Directions for Closure etc. issued on 23.04.2014. Reply received on 26.03.2014 stating that the unit is committed to complete the work related to STP by 31.05.2014. The unit has Submitted Bank Guarantee of Rs. 60 lacs & Directions have been temporarily revoked on 30.04.2014 for 3 months. |  | Hotel be asked to submit copy of the permission from NDMC for drawl / extraction of Ground Water within 3 months with copy to NDMC & concerned DC(Revenue).
9 | Silver Ferns (A Unit of Krishna Continental Ltd.) | 31-32, Community Centre, Saket, New Delhi | 19.11.2013 | 5984 | Orange / Operate | Hotel Complex | Applied for Consent to Operate | NA | Commencement of Production……..Dec, 1993, CTE…. Granted on 11.10.2013 vd CNo. 32943, Total Plot Area (in sq. meter)……512, Builtup Area (in sq. meter)….2673.576, Water Consumption (KLD)….22, Ground Water (in KLD)…..Nil (DJB), Waste Water Generation (KLD)…..19, Domestic Effluent (KLD)….19, Trade Effluent (KLD)…..Nil, STP (Capacity in KLD….20) & adequate as per the Adequacy Report dated September, 2013 issued by Jamia Millia Islamia submitted. Effluent Analysis Report dated 21.08.2013 issued by Sophisticated Industrial Materials Analytic Labs Pvt. Ltd. submitted & found within Limit. ECS....., N/A (stack attached to the boiler). Stack Monitoring Reports of Boiler dated 06.09.2013 issued by DPCC submitted and found within limit, Noise Monitoring Report for 125 KVA D.G. Set dated 12.09.2013 issued by DPCC submitted and found as per the prescribed norms. | Decision on 29.01.201 : Expedite Inspection.. | Inspection was carried out on 17.04.2014 and following observations were made:- 1. Unit is a Hotel with 49 room and also having 70 seats in a restaurant. 2. ETP installed & found functional. 3. One D.G. Set of capacity 125 KVA with adequate stack iheight. 4. Ducting provided in Kitchen. |  | Consent to Operate granted.
10 | Jaypee Vasant Continental | Basant Lok, Vasant Vihar, Delhi. | 19.11.2013 | 5988 | Orange Operate | Five Star Hotel | Applied for Consent to Operate (Renewal) | NA | Commencement of Production 1982 Total Plot Area-1250.50 sq. meter, Builtup Area-19075.1452 sq. meter, Water Consumption-275 KLD, MCD- 5 KLD, and 270 KLD buying tankers, Waste Water Generation- 175 KLD , Domestic Effluent- 120 KLD, Trade Effluent-55 KLD, ETP is installed & adequate as per the Adequacy Report submitted dated 23.10,2010, Effluent Analysis Report submitted dated 22.10.2013 & found within limit, The unit has 3 D.G. Set(s) of 3x 910 KVA. Noise monitoring report dated 07.11.2013 issued by DPCC submitted and within limit. Unit has one stack attached to Gas Fired boilers using PNG as fuel and submitted Stack monitoring report dated12.11.2013 issued by DPCC and found within Limit. | Decision taken on 29.01.14 : Inspection be carried out. | Inspection was carried out on 06.05.2014 and STP found functioning properly, Organic Waste Convertor and Solar Water Heating System has been provided .Hotel is in progress for an agreement with Horticulture Deptt of DDA for use of surplus treated effluent of the Hotel.. |  | Hotel be asked to submit Adequacy Report and Efflluent Analysis Report of STP and also to submit details of Agency supplying water through tankers and its valid permission from Delhi Jal Board for extraction /drawl of Ground Water and its supply through tankers, within one month, with copy to DJB & concerned DC.
11 | Iris Hometel (S Chand and Company Ltd) | Plot No 1-C, Sub District Centre, Hari Nagar, Delhi | 18.12.2013 | 6189 | Orange/ Renewal | Hotel | Applied for Consent to Operate | NA | Consent to Establish issied to the Hotel. Total Plot Area- 1500 sq. meter, Builtup Area- 6000 sq. meter, Water Consumption - 50 KLD Waste Water Generation - 40 KLD , Domestic Effluent- 12 KLD, Trade Effluent-28 KLD, STP is installed & adequate as per the Adequacy Report of Delhi Techonological University Dated 09.08.10 . Effluent Analysis Report of Sophisticated Industrial Material Analytic Labs Dated 17.09.2013 submitted & found within limit, Noise Monitoring Reports of DPCC Dated 17.10.2013for 2 DG Set of 2x 320 KVA, submitted and found as per the prescribed norms (Acoustic Enclosure with Adequate stack height Provided ). Emission Monitoring report of 2 boilers from DPCC labs submitted. Unit inspected on30.04.2014 and following were observed: STP was not properly functioning, wastewater generated from softening plant discharge directly to sewer which is not connected to STP, log book not maintained, OWC is not installed, DG Sets have inadequate stack height, RWH Pit found choked, Flow meter at ihnlet not provided, having 1 borewell, DJB permisson not shown, unit not using treated water. | Decision taken on 29.01.14 : Inspection be carried out. | As decided, inspection was carried out on 30.04.2014 and deficiencies were observed. |  | Issue Show Cause Notice u/s 31(A) of Air Act & u/s 33(A) of Water Act and also for Refusal of Consent to the Hotel for the deficiencies observed during the inspection on 30.04.2014. Hotel be also asked to submit permission of Delhi Jal Board for extraction /drawl of Ground Water with copy to DJB & concerned DC
12 | Suresh Traders and Engineers | Plot No 84, Pkt-E, Sec-4, Bawana Indl. Area,Delhi-39 | 08.01.2014 | 6363 | Orange Operate | Job work of Electroplating, Anodizing, Buffing and Painting (manually) | CTE granted valid upto 10.07.2014 | Applied on 08.01.2014 | Commencement of Production ……15.09.2013, CTE valid upto 10.07.2014. Total Plot Area (in sq. meter) …..150.29 , Builtup Area (in sq. meter)….120.29 , Water Consumption (KLD)….0.65 KLD, Ground Water (in KLD).....Nil KLD, Waste Water Generation (KLD)….0.5 KLD. , Domestic Effluent (KLD)....0.1 KLD., Trade Effluent (KLD).....0.4 KLD, ETP (installed, capacity 0.5 KLD) & adequate as per the Adequacy Report dated December, 2013 issued by Jamia Millia ISlamia submitted. Effluent analysis report dated 08.01.2014 issued by Spectro Analytical Labs Limited submitted. Effluent Test Report within Limit - yes. Report is fake. ECS - Dust Collector Installed & adequate as per the Adequacy Report dated December, 2013 issued by Jamia Millia Islamia submitted. Stack monitoring report dated 10.02.2014 issued by DPCC submitted. Stack Test Report within Limit - Yes DG SET: Nil |  |  |  | Show Cause Notice for Refusal of Consent since the Treated Effluent Analysis Report issued by Spectro Analytical Labs Limited found to be fake.
13 | Neeta Kathuria | 31-A, DLF Najafgarh Road Industrial Area,Delhi -15 | 09.01.2014 | 6387 | Orange/ Renewal | Manufacturing of cycle rim (with Buffing, Polishing and electroplating) | Applied for Consent to Operate | Having valid Authorization. | Total Plot area: 822 sqm Total Built up area : 822 sqm Total water consumption 2700 LPD Unit has submitted application for Renewal on 09.01.2014 along with Adequacy Report of ETP & ECS, effluent analysis report and stack emission monitoring report showing that it is meeting the prescribed standards. | _ | _ | _ | Consent to Operate granted. Inspection thereafter.
14 | Rana Metal Works | Plot No. 251, FIE. Patparganj Industrial Area, Delhi | 27.01.2014 | 6600 | Orange / Renewal | Manufacturing of Sheet metal Boxes with Phosphating and Powder Coating. | Applied for Consent to Operate(Renewal) | Not Applied for Renewal of Authorization after expiry of earlier Authorization 17.04.2014 | Commencement of Production……..2003, CTE…. Granted on 26.03.2003 Total Plot Area (in sq. meter)……367.50, Builtup Area (in sq. meter)….499, Water Consumption (KLD)….1.5, Ground Water (in KLD)…..Nil, Waste Water Generation (KLD)…..1.0, Domestic Effluent (KLD)….0.3, Trade Effluent (KLD)…..0.7, ETP (Physiochemical) (installed, Capacity in KLD….1.0) & adequate as per the Adequacy Report dated June, 2009 issued by GGSIU submitted. Unit was advised to install a flow measuring device in ETP, Effluent Analysis Report dated 27.12.2013 issued by Sophisticated Industrial Materials Anlytic Labs. Pvt. Ltd. submitted & found not within Limit. Stack Monitoring Report dated 30.12.2013 issued by Sophisticated Industrial Materials Anlytic Labs. Pvt. Ltd. submitted and found within limit. Complete parameter was not analyzed as per prescribed norms. Show Cause Notice for Refusal of Consent under Water Act and Air Act was issued on 21.04.2014. Reply received on 05.05.2014 stating that unit shall submit the test report as per DPCC norms, kindly grant 30 days time for submission of report. | _ |  |  | Issue Modified Directions. Also ask the unit to apply for Renewal of Authorization.
15 | Tivoli Garden Resort (A Unit of T.G. Leisure & Resorts Pvt. Ltd.) | Kh. No. 646-653, Main Chattarpur Temple Road, Chhatarpur, Delhi | 29.01.2014 | 6670 | Orange / Operate | Motel | Applied for Consent to Operate | NA | Commencement of Production……..01.08.2002, CTE…. Applied on 07.04.2008 vd ID No. 25425, CTE granted dated 17.07.2013 CNo. 32410 Total Plot Area (in sq. meter)……26726.98, Builtup Area (in sq. meter)….3327.67, Water Consumption (KLD)….50, Ground Water (in KLD)…..52 (Borewell), Waste Water Generation (KLD)…..46, Domestic Effluent (KLD)….10, Trade Effluent (KLD)…..40, ETP (installed, Capacity in KLD….50) & adequate as per the Adequacy Report dated 24.01.2012 issued by Delhi Technological University (DTU) submitted. Effleuent Analysis Report dated 24.01.2014 issued by DTU Stack Monitoring Report of stack attached to 2 Boilers dated 02.01.2014 issued by Sophisticated Industrial Materials Analytic Labs Pvt. Ltd. submitted and found within limit, Noise Monitoring Report for 4 D.G. Set(s) i.e. 125KVA, 250KVA, 380KVA and 750KVA (Acoustic Enclosure / Acoustic Treatment and Adequacy stack height Provided) dated 29.01.2014 issued by DPCC submitted and found as per the prescribed norms, | _ | It was informed during the meeting that inspection has been conducted and ETP found in operation. |  | Unit be asked to submit permission of Delhi Jal Board for extraction /drawl of Ground Water within 3 months, with copy to DJB & concerned DC.
16 | Hotel Imperial | Janpath, New Delhi | 04.02.2014 | 6829 | Orange/Renewal | Hotel Operations | Applied for Consent to Operate (Renewal) | NA | Total Plot Area: 7.938 Acres. Built up Area: 28948.29 sqm Date of commissioning of construction: 1931 Date of completion of construction: 1937. The Hotel has Bio-logical ETP. The Hotel submitted AR dated 30.01.2014 issued by Delhi Technological University, Effluent analysis report dated 27-01-2014 issued by SPECTRO ANALYTICAL LABORATORIES submitted and (Stack monitoring report dated 29-01-2014 issued by SHRIRAM INSTITUTE The Hotel has 2 D.G. Set(s) of 1250 KVA and 2000 KVA. Noise monitoring report dated 30-01-2014 issued by DPCC submitted. The Hotel was inspected on 24.01.2014 and following were observed: Waste water treatment plant i.e ETPs units namely pre-treatment compartment and clarification compartment found defunct (broken condition). Organic waste convertor found in working condition but having odour problems. In pre-treatment compartment two pipes provided, during enquiry it is informed by operator that in case of emergency a provision is made to discharge directly into clarifier for final discharge. Sludge handling mechanism not provided. Installation of STP is in final stage for which an application has been filed before ASI for NOC. Solar water Heating system with a capacity of 10 KLD is in working condition. Having 5 pits for Rain Water Harvesting. Having 4 restaurants namely 1911, Spice Route, Sangim Nano and Daniells with total seating capacity 533 persons. Having good plantation and green area. (5) SCN u/s 33(A) details : Issued on 11.02.2014. The Show Cause Notice was responded on 03.03.2014 which has nothing new substance w.r.t installation of STP. The Hotel was called for Personal Hearing before Chairman, DPCC on 28.03.2014. Hotel submitted an Action plan/ PERT chart on 02.04.2014 according to which, the STP will be installed and commissioned by 15th Sept, 2014. | _ | As decided in file Directions u/s 33 (A) of Water Act has been issued on 30.04.2014 for closure of the Water Polluting activities. |  | Hotel be asked to submit permission of NDMC for extraction /drawl of Ground Water with copy to NDMC & concerned DC.
17 | Taj Sats Air Catering Ltd | IGI Airport Authority Complex, New Delhi | 07.02.2014 | 6865 | Orange/Renewal | Flight Catering. | Applied for Consent to Operate (Renewal) | NA | Total Plot Area: 14440 sqm Built up Area: 6018.91 sqm Year of commencement of production: 1983 Total Water Consumption: 377 KLD Total Effluent discharge: 195 KLD The ETP has been provided by the unit. The unit submitted Effluent analysis report dated 06-02-2014 issued by SPECTRO ANALYTICAL LABORATORIES The unit has provided a Scrubber. Stack monitoring report dated 06-02-2014 issued by SPECTRO ANALYTICAL LABORATORIES has been submitted. The unit has 4 D.G. Set(s) of 625 KVA, 625 KVA, 380 KVA and 500 KVA. The Consent Application for Renewal has been received on 07.02.2014 without Adequacy Report and Noise Monitoring Report. The unit had applied to Jamia Mallia Islamia University for Adequacy report and applied for Noise Monitoring Report in DPCC. As per the Remark dated 07.02.2014 of MS DPCC on the letter of the unit, the case is to be considered by the Consent Committee only after submission of Pending Report However the report has not been received so far. | _ | As decided in file a letter is to be issued seeking Adequacy Report & Noise Monitoring Report and thereafter, inspection be carried out. The test report issued by Spectro Lab has been checked , found Authentic & meeting the prescribed standards. |  | Issue letter seeking Adequacy Report & Noise Monitoring Report. Unit be also asked to submit permission of Delhi Jal Board for extraction /drawl of Ground Water with copy to DJB & concerned DC. Inspection be carried out for present status of compliance.
18 | Yadu Greens | KH. No.-52/9,10,11, 53/5,6 And 42/25, Main G. T. K.Road Bakoli, Delhi | 07.02.2014 | 6867 | Orange Operate | Farm House (Party Lawn) and Motel (19 Beds in 16 Rooms) | Applied for CTE on 08.05.2009 Applied fro CTO on 21.09.2010 | N/A | Commencement of Production ……2013, CTE applied on 08.05.2009. Total Plot Area (in sq. meter) …..16271 , Builtup Area (in sq. meter)….1200 , Water Consumption (KLD)….7.5 KLD, Ground Water (in KLD).....6.0 KLD, Waste Water Generation (KLD)….4 KLD. , Domestic Effluent (KLD)....1.5 KLD., Trade Effluent (KLD).....2.5 KLD, ETP (installed, capacity 5 KLD) & adequate as per the Adequacy Report dated August, 2010 issued by GGSIPU submitted. Effluent analysis report dated 14.11.2013 issued by Spectro Analytical Labs Pvt. Ltd. submitted. Effluent Test Report within Limit - No. TSS (54 mg/l) is not meeting the norm of 50 mg/l. ECS - N/A D.G. SET: The unit has 9 D.G. Set(s) of 125 KVA, 125 KVA, 125 KVA, 140 KVA, 200 KVA, 250 KVA, 200 KVA, 250 KVA and 250 KVA KVA. Noise monitoring report dated 06-01-2014 issued by DPCC submitted. Noise monitoring report within Limit - Yes Consent application dated 21.09.2010 was made infructous. | Decision on 29.01.2014: Issue Show Cause Notice u/s 31(A) of Air Act for not applying for Consent to Operate. After the receipt of fresh application for Consent to Operate, earlier application dated 21.09.10 be made Infructuous | A SCN was decided in the meeting but during the process of finalizing the minutes, unit has submitted application for Consent on 07.02.2014. SCN was dropped. |  | Issue Show Cause Notice u/s 33(A) of Water Act and also for Refusal of Consent. Unit be also asked to submit permission of Delhi Jal Board for extraction /drawl of Ground Water within 3 months with copy to DJB & concerned DC.
19 | Bird Hospitality Services Pvt Ltd | Khasra No..18/11,18/12,18/13, 18/14/2/2, 18/18, 18/19, 18/20 MIN, 18/17/2 MIN, NH-8,Opp. 21ST Milestone, Samalkha Village,Delhi. | 12.02.2014 | 6891 | Orange/Renewal | Hotel Complex | Applied for Consent to Operate. | NA | (1)ETP ---- STP - Bio-logical (a) AR dated 21.01.2014 issued by Delhi Technological Universitysubmitted. (b) Effluent analysis report dated 21-01-2014 issued by Delhi Technological University submitted. Effluent Test Report within Limit - Yes (2)ECS - N/A (3)D.G.Set Noise Report : 2 (a) The unit has 2 D.G. Set(s) of 625 KVA and 320 KVA. Noise monitoring report dated 18-12-2013 issued by DPCC submitted. Noise monitoring report within Limit - yes (b) Stack monitoring report (for more than 1000 KVA) dated issued by submitted and parameters within limit . (4) Inspection details:No (5) SCN u/s 31(A)/33(A)/5 of EPA details :No (6) Closure directions u/s 31(A)/33(A)/5 of EPA details :No. | _ | As decided in file a letter is to be issued seeking clarification regarding Kh. No.s mentioned in the Application & Affidavit for which Consent to Operate has been applied and also seeking compliance report w.r.t earlier granted Consent to Establish.. Unit is also to be inspected. |  | A letter be issued seeking clarification regarding Kh. No.s mentioned in the Application & Affidavit for which Consent to Operate has been applied and also seeking compliance report w.r.t earlier granted Consent to Establish. Also inspection of the unit be carried out. for present status of compliance.
20 | Today Homes and Infrastructures Limited | Gujaarawala Town, Delhi | 13.02.2014 | 6905 | Orange Operate | Commercial Complex | Applied for CTE 24.08.2006 | N/A | Commencement of Production ……2013, CTE applied on 24.08.2006. Total Plot Area (in sq. meter) …..11600 , Builtup Area (in sq. meter)….11600 , Water Consumption (KLD)….160 KLD, Ground Water (in KLD).....Nil KLD, Waste Water Generation (KLD)….75 KLD. , Domestic Effluent (KLD)....10 KLD., Trade Effluent (KLD).....65 KLD, ETP (installed, capacity 75 KLD) & adequate as per the Adequacy Report dated November, 2013 issued by Jamia Millia ISlamia submitted. Effluent analysis report dated 11.02.2014 issued by SIMA Labs submitted. Effluent Test Report within Limit - Yes ECS - N/A Stack monitoring report dated 10.02.2014 issued by SIMA Labs submitted. Stack Test Report within Limit - Yes DG SET: The unit has 2 D.G. Set(s) of 1010 and 250 KVA. Noise monitoring reports dated 11.12.2013 issued by DPCC submitted. Noise monitoring report within Limit - Yes |  |  |  | Consent to Establish and Operate granted. Inspection thereafter.
21 | Tivoli Garden Motels (Pashupati Nath Resorts Pvt. Ltd.) | Village Jindpur, Main GTK Road, Near Narela, New Delhi-36 | 17.02.2014 | 6940 | Orange Operate | Motel 28 Rooms | CTE granted valid upto 23.11.2011. CTO granted valid upto 29.09.2013 | N/A | Commencement of Production ……2009, CTE granted valid upto 23.11.2011. Total Plot Area (in sq. meter) …..26943.13 , Builtup Area (in sq. meter)….2585.43 , Water Consumption (KLD)….65 KLD, Ground Water (in KLD).....Nil KLD, Waste Water Generation (KLD)….28 KLD. , Domestic Effluent (KLD)....8 KLD., Trade Effluent (KLD).....20 KLD, ETP (installed, capacity 50 KLD) & adequate as per the Adequacy Report dated August 2010 issued by GGSIPUsubmitted. Effluent analysis report dated 03.01.2014 issued by SIMA Labs submitted. Effluent Test Report within Limit - No BOD (32 mg/l) is not conforming to the norm of 30 mg/l ECS - N/A Stack monitoring report dated 08.02.2014 issued by SIMA Labs submitted. Stack Test Report within Limit - Yes DG SET: The unit has 3 D.G. Set(s) of 500, 250 and 625 KVA. NMR dated 02.01.2014 issued by Centre for Qccupational and Environmental Health submitted. Noise monitoring report within Limit - Yes |  |  |  | Issue Show Cause Notice u/s 33(A) of Water Act and also for Refusal of Consent.
22 | Mangla Handles | 101, Badli Industrial Estate, Phase-II Delhi | 20.02.2014 | 6971 | Orange Renewal | Manufacturing iron and Steel Wire Products with Electroplating and plastic Moulding. | CTE valid upto 25.03.2004 CTO granted valid upto 03.06.2013 | Applied on 09.01.2013 | Commencement of Production ……2003, CTE valid upto 25.03.2004. Total Plot Area (in sq. meter) …..418 , Builtup Area (in sq. meter)….250 , Water Consumption (KLD)….4.2 KLD, Ground Water (in KLD).....Nil KLD, Waste Water Generation (KLD)….3.66 KLD. , Domestic Effluent (KLD)....0.16 KLD., Trade Effluent (KLD).....3.5 KLD, ETP (installed, capacity 4.55 KLD) & adequate as per the Adequacy Report dated 03.06.2010 issued by DTU submitted. Effluent analysis report dated 31.01.2014 issued by DTU submitted. Effluent Test Report within Limit - yes Hood and suction arrangement with Wet Scrubber over electroplating bath provided Stack monitoring report dated 31-01-2014 issued by DTU submitted. Stack Test Report within Limit - Yes DG SET: 1 D.G. Set(s) of 62.5 KVA installed. Noise monitoring report dated 23-01-2014 issued by DPCC submitted. Noise monitoring report within Limit - Yes Unit inspected on 14.3.2014 and found in order. |  |  |  | Renewal of Consent and Authorization under HWM Rules, granted.
23 | D G Estates Pvt Ltd. Park Plaza Hotel Services | 1-B, Sub District Centre, Hari Nagar,Delhi | 24.02.2014 | 6999 | Orange / Operate | Hotel | Applied for Consent to Operate | N/A | Total Plot Area: 1500 sqm Built up area: 2249.91 sqm Total Water Consumption : 65 KLD Trade Effluent generated: 48 KLD The unit has installed an ETP and submitted AR dated 28.09.2010 issued by Guru Gobind Singh I.P University Delhi submitted and Effluent analysis report dated 04-02-2014 issued by J17 The unit has 2 D.G. Set(s) of 380 KVA and 500 KVA. Noise monitoring report dated 17-02-2014 issued by Maulana Azad Medical College submitted. Earlier, M/s D.G. Estate PVt. Ltd. has obtained CTE and applier for CTO on 03.12.2010. After that, M/s D.G. Estate Pvt. Ltd. has given hotel on lease to M/s Amar Realcon Pvt. Ltd. Unit has submitted copy of MCD and Delhi Police Licenses in the name of M/s D.G. Estate Pvt. Ltd. and also submitted a CA Certificate stating that the gross capital investment of M/s Amar Realcon Pvt.Ltd in plant and Machinery is Rs. 1,500,00000 land and Building on rent without depreciation as on 31st March, 2013 and submitted an affidavits signed by M/s D.G. Estate Pvt. Ltd and M/s Amar Realcon Pvt. Ltd. Unit inspected on 07.05.2014 and following were observed: STP was not found operational. No wet /dry sludge found at site. Filter press is of small size and found dry. DG Sets have inadequate stack height, RWH Pit found choked & conveyance system not properly connected. Flow meter at inlet not provided, having 2 borewells however permission from DJB not shown . Unit found discharging waste water into sewer without proper treatment and no provision regarding reuse of treated water. | _ | As decided in file , inspection of the unit was carried out on 07.05.2014. |  | Issue Show Cause Notice u/s 31(A) of Air Act & u/s 33(A) of Water Act and also for Refusal of Consent to the Hotel for the deficiencies observed during the inspection on 07.05.2014. Unit be also asked to submit permission of Delhi Jal Board for extraction /drawl of Ground Water within 3 months, with copy to DJB & concerned DC.
24 | Hira Electronics | B-2572, DSIIDC, Narela Industrial Area,Delhi -40 | 25.02.2014 | 7008 | Orange Renewal | Anodizing on Aluminum Door and Window Section | Applied for CTO 27.05.2009 | Applied on 18.05.2010 | Commencement of Production ……2001, CTO issued on 18.06.2003 valid upto 30.10.2005. Total Plot Area (in sq. meter) …..250 , Builtup Area (in sq. meter)….250 , Water Consumption (KLD)….2.28 KLD, Ground Water (in KLD).....2 KLD, Waste Water Generation (KLD)….2.25 KLD. , Domestic Effluent (KLD)....0.25 KLD., Trade Effluent (KLD).....2 KLD, ETP (installed, capacity 2 KLD) & adequate as per the Adequacy Report dated March 2009 issued by GGSIPU submitted. Effluent analysis report dated 17-01-2014 issued by SIMA Labs submitted. Effluent Test Report within Limit - yes ECS - Scrubber and adequate as per the Adequacy Report dated February 2014 issued by jamia milia islamia submitted. Stack monitoring report dated 20-01-2014 issued by DPCC submitted. Stack Test Report within Limit - Yes DG SET: Nil |  |  |  | Renewal of Consent to Operate & Authorization under HWM Rules granted with condition that unit shall not draw/extract Ground Water through Bore Well without obtaining prior permission from DJB and shall submit copy of the permission from DJB within 3 months.
25 | Jamna Metal Company | D-1513, Narela Industrial Area,Delhi-40 | 05.03.2014 | 7100 | Orange Renewal | Manufacturing of M.S. Galvanized Items. | CTE granted valid upto 28.05.2003 CTO granted valid utpo 06.09.2013 | Applied on 05.03.2014 | Commencement of Production ……2004, CTE granted valid upto 28.05.2003. Total Plot Area (in sq. meter) …..350 , Builtup Area (in sq. meter)….350 , Water Consumption (KLD)….0.5 KLD, Ground Water (in KLD).....Nil KLD, Waste Water Generation (KLD)….0.34 KLD. , Domestic Effluent (KLD)....0.04 KLD., Trade Effluent (KLD).....0.3 KLD, ETP (installed, capacity 0.3 KLD) & adequate as per the Adequacy Report dated 11.02.2010 issued by DTU submitted. Effluent analysis report dated 03-01-2014 issued by DPCC submitted. Effluent quality as per norms - Yes ECS - Scrubber, adequate as per the Adequacy Report dated 22.02.2010 issued by DTU submitted. Stack monitoring report dated 06-02-2014 issued by SIMA Labs submitted. Stack Test Report within Limit - Yes DG SET: 1 D.G. Set(s) of 40 KVA installed. NMR dated 10-12-2013 issued by DPCC submitted. Noise levels within Limit - Yes |  |  |  | Renewal of Consent to Operate & Authorization under HWM Rules granted.
26 | S.R. Motel & Resorts (Carnival) | Main GTK Road, Alipur, Delhi-36 | 07.03.2014 | 7129 | Orange Renewal | Party lawn for marriages and other social functions, banquet and motel facility. | CTE granted valid upto 21.09.2012 CTO granted valid utpo 07.03.2014 | NA | Commencement of Production ……2010, CTE granted valid upto 21.09.2012. Total Plot Area (in sq. meter) …..182.7 , Builtup Area (in sq. meter)….4021.98 , Water Consumption (KLD)….40 KLD, (from DJB) Ground Water (in KLD).....40 KLD, Waste Water Generation (KLD)….35 KLD. , Domestic Effluent (KLD)....23 KLD., Trade Effluent (KLD).....12 KLD, STP (installed, capacity ...35 KLD) (Biological treatment). Adequacy Report dated November 2010 issued by GGSIPU submitted. Effluent analysis report dated 17-02-2014 issued by DPCC submitted. Effluent quality as per norms - Yes DG SET: 4 D.G. Set(s) of 500 KVA, 438 KVA, 250 KVA and 125 KVA. Noise monitoring report of 2 DG sets of 500 and 438 KVA dated 19-02-2014 issued by DPCC submitted. Noise monitoring report within Limit - Yes MCD License valid upto 31.03.2014. Delhi Police LIcense valid upto 31.03.2014 |  |  |  | Renewal of Consent to Operate granted with condition that unit shall not draw/extract Ground Water through Bore Well without obtaining prior permission from DJB and shall submit copy of the permission from DJB within 3 months.
27 | Inditex India Pvt Ltd | C-268, Ph-II, Mayapuri Industrial Area,Delhi-64. | 11.03.2014 | 7165 | Orange / Renewal | Mfg of Electic Control Panel with Phosphating and Painting | Applied | Yes, Valid upto 15.07.2015 | Consent to Establish issued . Total Plot Area: 506 sqm Built up area: 506 sqm Total Water Consumption: 1300 LPD Trade effluent: 900 LPD The unit has installed ETP and submitted AR dated Feb,2014 issued by Jamia Millia Islam, Effluent analysis report dated 25-01-2014 issued by Sophisticated Industrial Material Analytical Labs Pvt. Ltd. The unit has ECS - Cyclone and submitted Stack monitoring report dated 24-01-2014 issued by Sophisticated Industrial Material Analytical Labs Pvt. Ltd. The unit has 1 D.G. Set(s) of 100 KVA and submitted Noise monitoring report dated 18-02-2014 issued by DPCC . | _ | As decided in file , inspection was carried out on 02.05.2014. ETP found defunct and Hazardous Waste is not being stored properly. |  | Issue Show Cause Notice u/s 31(A) of Air Act, u/s 33(A) of Water Act & u/s 5 of EP Act and also for Refusal of Consent & Cancellation of Authorization to the unit for the deficiencies observed during the inspection on 02.05.2014.
28 | Ramps Industries (INDIA) | BT-1/83, Phase-1, Mangol Puri Industrial Area Delhi-64. | 13.03.2014 | 7182 | Orange Operate | Manufacturing of sanitory goods with electroplating | CTE valid upto 17.06.2011 Applied for CTO 04.01.2011 made infructous on | Applied on 23.08.2010 | Commencement of Production ……2009, CTE valid upto 17.06.2011. Total Plot Area (in sq. meter) …..399 , Builtup Area (in sq. meter)….350 , Water Consumption (KLD)….0.6 KLD, Ground Water (in KLD).....Nil KLD, Waste Water Generation (KLD)….0.6 KLD. , Domestic Effluent (KLD)....0.1 KLD., Trade Effluent (KLD).....0.5 KLD, ETP (installed, capacity..0.6 KLD) & adequate as per the Adequacy Report dated October 2010 issued by Jamia Millia Islamia University submitted. Effluent analysis report dated 20.02.2014 issued by SIMA Labs submitted. Effluent Test Report within Limit - yes ECS - Scrubber and adequate as per the Adequacy Report dated March 2014 issued by jamia milia islamia submitted. Stack monitoring report dated 30.12.2014 issued by DPCC submitted. Stack Test Report within Limit - Yes DG SET: The unit has 1 D.G. Set(s) of 125 KVA. Noise monitoring report dated 06-03-2014 issued by DPCC submitted. Noise monitoring report within Limit - Yes A letter was issued to the unit on 16.01.2014 for submittion of fresh application for consent to operate along with the requisite documents. Accordingly, unit has applied for the same on 13.3.2014 Adequacy report of ECS on buffing section not submitted. |  |  |  | Issue letter seeking Adequacy Report for ECS for Buffing .
29 | P.P. Buildwell Pvt. Ltd.,(Northex Mall) | Local Shopping Complex, Near Kadambari Apartments, Sector-9, Rohini, Delhi-85. | 18.03.2014 | 7220 | Orange Operate | Shopping Mall cum Commercial Complex | CTE applied on 21.07.2008 which is pending | N/A | Commencement of Production ……2010 CTE..... Applied on 21.07.2008 which is yet to be decided. Total Plot Area (in sq. meter) ….., 6918.25 Builtup Area (in sq. meter)…., 11565.4 Water Consumption (KLD)….,72 KLD Ground Water (in KLD).....Nil Waste Water Generation (KLD)….. ,46 KLD Domestic Effluent (KLD)....., 41 KLD Trade Effluent (KLD)....., 5 KLD ETP- installed (capacity- 55 KLD ) and adequate as per the Adequacy Report dated 02.09.2013 issued by Delhi Technological University submitted , Effluent Analysis Report dated 30.12.2013 issued by SIMA Labs submitted & found within limit- No Parameters i.e. Total Suspended Solids(75/30 mg/l) and Biological Oxygen Demand (26/20 mg/l) not as per the norms. ECS- N/A DG SET- 1 D.G. Set(s) of 180 KVA. Noise monitoring report dated 13-12-2013 issued by DPCC submitted. Noise monitoring report within Limit - Yes |  |  |  | Issue Show Cause Notice u/s 33(A) of Water Act and also for Refusal of Consent to the unit.
30 | Jaypee Hotel Siddhartha | 3, Rajendra Place, Delhi. | 18.03.2014 | 7222 | Orange / Renewal | Hospitality (Hospital Industry) | CTO valid upto 31.05.2008. CTO granted vald upto 14.04.2014 which was revoked on 12.11.2013 | N/A | Commencement of Production ……2013, CTE applied on 08.05.2009. Total Plot Area (in sq. meter) …..4472.8 , Builtup Area (in sq. meter)….10153.2 , Water Consumption (KLD)….210 KLD, Ground Water (in KLD).....40 KLD, Waste Water Generation (KLD)….146 KLD. , Domestic Effluent (KLD)....86 KLD., Trade Effluent (KLD).....60 KLD, ETP & STP (installed, capacity 100 KLD) & adequate as per the Adequacy Report March 2014 issued by GGSIPU Jamia Millia ISlamia submitted. Effluent analysis report dated 17.02.2014 issued by SIMA LAbs Pvt. Ltd. submitted. Effluent Test Report within Limit - yes ECS - N/A, Stack monitoring report dated20.01.2014 issued by SIMA Labs submitted. Stack Test Report within Limit - Yes D.G. SET: The unit has 2 D.G. Set(s) of 910 KVA and 910 KVA. Noise monitoring report dated 05-02-2014 issued by DPCC submitted. Noise monitoring report within Limit - Yes A show cause notice for revocation of consent was issued on 30.05.2013 and a reply submitted on 11.06.2013 along with copy of progress of the implementation of the suggestions issued by DPCC. After failure of compliance, consent revoked on 14.11.2013 and closure directions again issued to the unit on 19.11.2013. a representaion submitted by the hotel on 22.11.2013 along with the bank guarantee and temporary revocation of closure directions issued on 26.11.2013. Now, hotel submitted the adequacy report of installed STP along with the test reports and fresh application for CTO. |  |  |  | Inspection be carried out for present status of compliance. Hotel be also asked to submit permission of Delhi Jal Board for extraction /drawl of Ground Water within 3 months, with copy to DJB & concerned DC.
31 | Taj Palace Hotel | 2,Sardar Patel Marg, Diplomatic Enclave,Delhi | 19.03.2014 | 7237 | Orange / Renewal | Five Star Hotel | Applied for Consent to Operate (Renewal) | NA | Total Plot Area: 24288.6 sqm Built up Area: 35252.27 sqm Total Water Consumption : 549 KLD Quantity of domestic effluent generated: 269 KLD Quantity of trade effluent generate : 150 KLD STP of capacity 450 KLD has been provided. The hotel has submitted AR dated 23.04.2009 issued by GGSIPU along with Effluent analysis report dated 19-02-2014 issued by Spectro Analytical Laboratories and Effluent analysis report dated 23-12-2013 issued by DPCC submitted. The hotel has submitted Stack monitoring report dated 01-02-2014 issued by Spectro Analytical Laboratories The hotel has 5 D.G. Set(s) of 1500 KVA, 1500KVA, 1050 KVA, 1050 KVA and 1050 KVA. Noise monitoring report dated 04-03-2014 issued by DPCC has been submitted. | _ | As decided in file , inspection of the Hotel is to be carried out. |  | Hotel be asked to submit permission of NDMC for extraction /drawl of Ground Water within 3 months, with copy to NDMC & concerned DC. Also Inspection be carried out for present status of compliance.
32 | Lee castle Motel and Resorts | Kh. No. 51/11, 51/12, 51/13, Min 52/15, Village Bakoli, Delhi 36 | 24.03.2014 | 7287 | Orange /Operate | Party Lawn for Marriages and Other Social Functons | CTE granted valid upto 17.10.2011 Applied for CTO on 14.10.2011 rejected on 15.04.2013 | N/A | Commencement of Production ……2010 CTE..... vald upto 17.10.2011 Total Plot Area (in sq. meter) ….., 10926.51 Builtup Area (in sq. meter)…., 1000 Water Consumption (KLD)….,7.5 KLD (sourced through water tankers) Ground Water (in KLD).....Nil Waste Water Generation (KLD)….. ,4.5 KLD Domestic Effluent (KLD)....., 1 KLD Trade Effluent (KLD)....., 3.5 KLD ETP- installed and adequate as per the Adequacy Report dated 29.07.2011 issued by Delhi Technological University submitted , Effluent Analysis Report dated 12.03.2014 issued by SIMA Labs submitted & found within limit- yes, ECS- N/A DG SET- 2 DG Sets of 380 and 250 KVA, Noise Monitoring Report dated 13.01.2014 issued by DPCC submitted and found with in the limits. -Closure Directions issued to the unit on 30.04.2013. -Temporary Revocation of closure direxctions issued on 24.10.2013 for 45 days for submission of consent applications alongwith the requiste documents. Unit applied for CTO now on 24.3.2014. File processed administratively for revocation of closure directions. |  |  |  | Directions for Closure etc. issued to the unit revoked. Consent to Operate granted . Unit be asked to submit details of the Agency supplying water through tankers and its valid permission from DJB for extraction / drawl of Ground Water and its supply through tankers, within one month, with copy to DJB & concerned DC (Revenue).
33 | Chelmsford Club Ltd | 1, Raisina Road,New Delhi | 31.03.2014 | 7368 | Orange / Operate | Club (Having Restaurant and Bar) | Applied | NA | Consent to Establish has been issued on 25.10.2013 Total Plot Area: 17138.3 sqm Built up area: 6070.23 sqm Year of commencement : 1928 Total Water Consumption : 16 KLD The unit has provided STP for which Adequacy Report Dated 14.03.2014 issued by Jamia Millia Islamia has beeen submitted along with Effluent Analysis Report Dated 29-01-2014 issued by DPCC which shows meeting the prescribed standards. The unit has one D.G. Set of 140 KVA having Acoustic Enclosure and Adequate stack height. Noise Monitoring Report Dated 18-12-2013 for DG Set issued by DPCC has been submitted showing it is meeting the prescribed standards. Earlier Directions u/s 33 ( A) of Water Act for closure of the Club were issued after the inspection during which deficiencies were observed and the same were Temporarily revoked after submission of Bank Gauarantee and representations regarding rectification of deficiencies / proposed measures. As decided in file , an inspection of the Club (having seating capacity of about 300 persons, a Banquet Hall, Restaurant & Coffee Shop) was carried out on 07.05.2014 . STP (30 KLD Capacity) found installed . Treated Effluent is used for Horticulture/Lawn. . Log Book of STP not found maintained properly.Screening Chamber & Oil & Grease Tank found Choked. Flow meter at the inlet of STP not installed. Club is not having storage tank for treated effluent. Having 2 Bore Well however permission from DJB not provided. DG Set is having acoustic enclosre & adequate stack height. | _ | As decided in file , an inspection of the Club was carried out on 07.05.2014 and . STP (30 KLD Capacity) found installed however deficiencies were observed., Log Book of STP not found maintained properlycreening Chamber & Oil & Grease Tank found Choked. Flow meter at the inlet of STP not installed. Club is not having storage tank for treated effluent. Having 2 Bore Well however permission from DJB not provided. |  | Issue Show Cause Notice u/s 33(A) of Water Act and also for Refusal of Consent for the deficiencies observed during the inspection on 07.05.2014. Unit be also asked to submit permission of NDMC for extraction /drawl of Ground Water within 3 months, with copy to NDMC & concerned DC.

## Annexure I(CTE CMC)(08.05.14)
S.No. | Name of the Unit | Address of the Unit | Date of Application | Application ID No. | Category | Activity / Product | Consent Status | Authorization Status | Brief of the Case | Decisions taken in Previous Meeting | Action Taken w.r.t Decisions of Previous Meeting | Remarks | Decisions taken by the Committee on 08.05.2014
1 | Rashmi Exports Pvt. Ltd. | E-32, Phase-II, Okhla Industrial Area, New Delhi-20 | 24.07.2013 | 4938 | Orange / Establish | Office Complex | Applied for Consent to Establish | N/A | Commencement of production….June,2014 CTE…. Applied, Total Plot Area (in sq. meter)……8128.59, Builtup Area (in sq. meter)….12110.46, Water Consumption (KLD)…..8, Ground Water (in KLD)…..Nil, Waste Water Generation (KLD)…..5, Domestic Effluent (KLD)….5, Trade Effluent (KLD)…..Nil, DG Set(s) of 140 KVA (Proposed) with stack height 4meter above roof of the building. Inspection was carried out on 17.01.2014 and following were observed:- 1. The site is under construction for a office complex of M/s Rashmi Export Pvt. Ltd. 2. The RCC/ Super structure work of basement 1 & 2 is completed. 3. The sanctioned built-up area of the project is 1,35000 sq.ft. 4. It is informed the expansion for built-up area is under process for total 8 floor/ built-up area is 3,20000 sq.ft. In response to the letter issued after the meeting on 29.01.2014 Unit submitted its reply alongwith an affidavit on 22.04.2014 stating that their project is an 'Office Complex' and has built up area of 12,110.46 sq. mtr which is less than stipulated area for requirement of Environmental Clearance. In future, the project with built up area greater than 20,000 sq. mtr., then they will apply to obtain the Environmental Clearance from SEIAA/ SEAC.of Delhi and unit will also apply for fresh Consent to Establish . with new built up area after obtaining Environmental Clearance. | Decision on 29.01.2014:- Issue letter directing the unit to apply for Environmental Clearance. | Letter issued. Reply received alongwith an affidavit on 22.04.2014 stating that their project is an 'Office Complex' and has built up area of 12,110.46 sq. mtr which is less than stipulated area for requirement of Environmental Clearance. |  | Consent to Establish granted.
2 | SKN-Bentex Group | A-8, Phase-II, Naraina Industrial Area, Delhi -28 | 23.08.2013 | 5188 | Consent to Establish | Manufacturing of Motor Startars with Electroplating and Powder Coating | Appliedfor Consent to Establish | _ | Commencement of Production - 30.09.2013, CTE..... Applied, Total Plot Area (in sq. meter)- 943.2 Builtup Area (in sq. meter)- 1970.93 , Water Consumption (KLD)- 4 KLD, Ground Water (in KLD)- Nil, Waste Water Generation (KLD)- 3.8 Domestic Effluent (KLD)- 1.8 , Trade Effluent (KLD)- 2 1.ETP --- Proposed.(2)ECS -Inbuilt dust collection system.(3)D.G.Set: Proposed (250 KVA) (4) The unit was inspected on 23.01.2014 and the following were observed: The unit found operational and engaged in the activity of Motor Starters with electroplating and powder coating. The ground floor has cutting section, welding section, hydraulic machine etc. The forth floor is electroplating and powder coating section wherein no channelization is provided. The trade effluent is being discharged into drain without any treatment as the ETP is in installation phase. The HW is not managed as per the Hazardous Waste Rules. one DG Set installed (250 KVA) with inadequate stack height. Washing activity is also being carried out on roof and effluient discharged without treatment . The unit submitted a reply on 21.03.2014 alongwith photographs against said SCNs. As per approval on file Inspection was done on 22.04.2014, some deficiencies were observed w.r.t Hazardous Waste Management. Unit submitted representation on 28.04.2014 alongwith photographs and informed that they have rectified all the deficiencies observed during inspection and requested to grant two months time for submitting application for CTO and Authorization. As per approval on file, Modified Directions to be issued for submission of these applications. | Decision taken on 29.01.2014 Issue Show Cause No tice for de ficiencies observed during inspection. | As decided Show Cause No tices were issued on 05.03.2014.. |  | Consent to Establish granted. Also take action as decided in the file regarding issuance of Modified Directions.
3 | Ash Brush Works | Plot No. 264, Pkt- J, Sectro-2, DSIIDC, Bawana Industrial Area,Delhi-39. | 03.01.2014 | 6324 | Orange Establish | Mfg. of Paint Brush by the process of buffing, anodizing /Electroplating Ni and CR) / Printing. | Applied | N/A | Commencement of Production ……2014, CTE... Applied . Total Plot Area (in sq. meter) …..150 , Builtup Area (in sq. meter)….150 , Water Consumption (KLD)….0.7 KLD, Ground Water (in KLD).....Nil KLD, Waste Water Generation (KLD)….5.5 KLD. , Domestic Effluent (KLD)....0.15 KLD., Trade Effluent (KLD).....0.4 KLD, ETP (Proposed). ECS - Proposed D.G. Set: Proposed |  |  |  | Consent to Establish granted.
4 | Spirit Global Constructions Pvt Ltd | Rajouri Garden, Adjacent to Rajouri Garden Metro Station,Delhi | 13.01.2014 | 6427 | Orange / Establish | Multi Level Parking with Commercial Development | Applied for Consent to Esatblish | NA | Applied for CTE on 13.01.2014 Date of Possesion of Land : 30.06.2010. Date of Commencement of Construction 15.02.2014. Proposed Date of Completion of Construction : 01.12.2016. Total Plot Area - 6797.29 sq. meter, Builtup Area - 18905.27 sq. meter, Water Consumption- 230.7 KLD, Ground Water- Nil Waste Water Generation- 158.7 KLD , Domestic/Trade Effluent- 158.7 KLD, STP (Proposed ) capacity is 250 KLD ) DG Sets proposed 750 & 320 KVA, Acoustic Enclosure with Adequate stack shall be provided. The unit has informed vide letter dated 18.02.14that commencement of work will begin only after receipt of CTE from DPCC. |  |  |  | Consent to Establish granted.
5 | JMM Finvest Pvt Ltd | Plot No. 5, City Centre, Sector 12, Dwarka, Delhi | 18.02.2014 | 6949 | Orange/Estaglish | Shopping mall cum Commercial Complex. | Applied for Consent to Establish | NA | Consent to Establish was issued and as decided inspection was to be carried out after issuance of CTE. Total Plot Area : 5220 sqm Built up Area: 18360 sqm Date of possession of land: 11.11.2012 Date of commencement of construction : May, 2013 Proposed Date of Completion: Dec, 2014. Total Water Consumption : 42.18 KLD Waste Water Generation: 35.36 KLD STP of 50KLD capacity is proposed to be installed. 3 DG Sets of capacity 125 KVA and 500 x 2 KVA are proposed. Unit has applied for Extension of Consent to Establish along with one year Consent fee. Also, the unithas informed that there is no change in the activity and any other data. Inspection of the site was carried out on 06.05.2014 and the project found under construction, Two Borewells were observed for which permission for Ground Water extraction could not be produced., Used oil of DG Set found spilled over the ground . | Decision taken on 27-03-2014 File be put up administratively. | As decided in the file a letter is to be issued asking the unit to submit an affidavit regarding no change in the informationprovided in the earlier submitted application for Consent to Establish. Inspection of the site was carried out on 06.05.2014. |  | Issue Show Cause Notice for Refusal of Extension of Consent to Establish with copy to Delhi Jal Board and concerned Dy. Commissioner for unauthorized drawl /extraction of ground water .
6 | Onora Hospitality Private Ltd. | Khasra NO. 14/26, 15/8,15/9,15/10,15/26 NH-1, G.T. Karnal Road, Village Snghola, Near Sindhu Border,Delhi. | 14.03.2014 | 7200 | Orange Establish | Motel/ Resort/ Recreation | Applied | N/A | Commencement of Production ……2014, CTE...Applied. Total Plot Area (in sq. meter) …..44816 , Builtup Area (in sq. meter)….4645 , Water Consumption (KLD)….17 KLD (proposed to sourced through tankers) Ground Water (in KLD).....Nil KLD, Waste Water Generation (KLD)….14 KLD. , Domestic Effluent (KLD)....4 KLD., Trade Effluent (KLD).....10 KLD, ETP (Proposed) ECS - N/A DG SET: 3 D.G. Sets of 125 and 2 X 250 KVA will be installed. |  |  |  | Unit be asked to submit details of Agency supplying water through tankers and its valid permission from Delhi Jal Board for extraction /drawl of Ground Water and its supply through tankers, within one month, with copy to DJB & concerned DC.
7 | AMA Metal Link India Pvt. Ltd | H-1192, Narela Industrial Area, Delhi-40 | 18.03.2014 | 7215 | Orange Establish | Ccopper Breded flexible | Applied | Proposed | Commencement of Production ……2014, CTE Applied. Total Plot Area (in sq. meter) …..350, Builtup Area (in sq. meter)….350 , Water Consumption (KLD)….3.2 KLD sourced from outside, Ground Water (in KLD).....Nil KLD, Waste Water Generation (KLD)….2.5 KLD. , Domestic Effluent (KLD)....0.1 KLD., Trade Effluent (KLD).....2.4 KLD, ETP- Proposed ECS - Proposed DG SET: Nil |  |  |  | Unit be asked to submit details of Agency supplying water and its valid permission from Delhi Jal Board.
8 | Spirit Hotel and Resort Pvt. Ltd. | Plot No. - 6A, Mandawali, Fazalpur, Delhi | 27.03.2014 | 7328 | Orange/ Establish | Hotel | Applied for Consent to Establish | NA | Commencement of Production……..27.01.2010, CTE…. Granted on 29.06.2009, Total Plot Area (in sq. meter)……2,130, Builtup Area (in sq. meter)….8,469.6, Water Consumption (KLD)….30, Ground Water (in KLD)…..Nil, Waste Water Generation (KLD)…..24, Domestic Effluent (KLD)….24, Trade Effluent (KLD)…..Nil, STP (Capacity in KLD….30) D.G. Set(s) of 2x500 KVA (Proposed) Stack Earlier, the CTE is being issued to the hotel valid upto 28.06.2010. The hotel applied for renewal of Consent to establish. Earlier, the hotel was asked to apply for CTO if the unit is in the stage of commissioning alongwith paravise compliance report of CTE conditions. However, as per letter dated 18.03.2014 the hotel informed that completion of project expected in Dec, 2014. | Earlier, it was decided to conduct the inspection. | Inspection is yet to be conducted. |  | Consent to Establish granted. Inspection thereafter.